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AMHERST COUNTY SERVICE AUTHORITY

P. O. BOX 100

MADISON HEIGHTS, VA 24572-0100

PHONE (434) 845-1605

FAX (434) 845-1613

acsava@acsava.com
AMHERST COUNTY SERVICE AUTHORITY

REQUEST FOR PROPOSAL

ADVANCED METERING INFRASTRUCTURE WATER METERING SYSTEM

RFP ADDENDUM #1

July 23, 2026

Data Provided by ACSA
· Meter Inventory Report to include meter size, manufacturer, age
· Meter Manufacturer: Sensus (Iperl, SR II, Accustream, Omni)
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· GIS Coordinates for all meter locations
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· Meter Operating Budget Information to determine ROI if to be provided
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Requested Information
· Location & Approx Height of all water towers or vertical assets


[image: image6]
[image: image7.png]Table 4.1

Water Distribution System Storage Tanks

Elevation @ |Elevation @

Mixing
IName of Tank _[Location Iinstallation |(Gallons) [Tank Control Equipment
Wrighthop  [143 right Shop  [Record Not Multiple Orifices
Road Standpipe_[Road (Southeast) |Available 700,000 | 700,000 EL] 877 954lAltitude Valve 94| 954]in Riser
Faulconerville | 165 Faulconerville| Recirculation and
Standpipe Drive (North) 1991 650,000 171,000 36 %07 993|Altitude Valve 983 991/Spray Aeration
Lyttleton Lane |16 Lyttleton Lane| None Shown on
Elevated Tank _|(South) 1936 250,000| 250,000 PE] 82 906|Altitude Valve 98] 904 Drawing
PricesStore  [139 Highview Multiple Orifices
Standpipe Drive (Center) 1994| 1210,000| 1,000,000 925 997|Tank Overflow _|NA NA in Riser

oL 2810000 | 2,121,000
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2/11/2026 12:39 PM METER REPORT PAGE :

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999

BOOK: 31 - COM BK 1
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 72853868 31-001000 110 CHURCH ST 1.000 S 5/8" 4/30/2013  ON
Serial: 72853868 MANUAL

WATER 31197797 31-013700 507 MAIN ST 1.000 R-P 5/8 12/01/2000 12/30/2000  OFF
Serial: 31197797 MANUAL 12/01/2000

WATER 72853919 31-013900 509 MAIN ST 1.000 S 5/8" 4/30/2013  ON
Serial: 72853919 MANUAL

WATER 72853813 31-017300  COOPERS LN 1.000 s 5/8" 4/30/2013  OFF
Serial: 72853813 1.000 MANUAL

WATER 75618714 31-018600 398 LYNCHS FERRY RD 1.000 s 5/8" 1/24/2014  ON
Serial: 75618714 MANUAL

WATER 86011910 31-018700 329 MAIN 1.000 s 5/8" 10/24/2025  ON
Serial: 86011910 MANUAL

WATER 75618693 31-019800 248 OLD TOWN CONNECTOR 1.000 S 5/8" 10/26/2015  ON
Serial: 75618693 MANUAL

WATER 82386623 31-033206 153 OLD RAGLAND RD 1.000 S 5/8" 7/10/2017  ON
Serial: 82386623 MANUAL

WATER 80003235 31-034000 239 RAGLAND RD 1.000 S 5/8" 2/16/2017  ON
Serial: 80003235 MANUAL

WATER 68696861 31-034020 256 RAGLAND RD 1.000 s 5/8" 2/27/2012  ON
Serial: 68691861 MANUAL

WATER 88239381 31-035400 131 OLD COLONY RD 1.000 S 5/8" 3/23/2020  ON
Serial: 88239381 MANUAL

WATER 73987906 31-036800 472 COLONY RD 1.000 s 5/8" 10/30/2014  ON
Serial: 73987906 MANUAL

WATER 1388735  31-037205 521 COLONY RD 1.000 S 5/8" 4/01/2010  ON
Serial: 1388735 MANUAL

WATER LYN WATER 31-037205 521 COLONY RD 1.000 S 5/8" 4/01/2010  ON
Serial: LYNCHBURG WATER MANUAL

WATER VC TRAILE 31-037205 521 COLONY RD 1.000 S 5/8" 4/01/2010  ON
Serial: VC TRAILER PARK MANUAL

SEWER #1 METER 31-037205 521 COLONY RD 0.134 4/01/2010  ON
Serial: #1 SEWER METER MANUAL

SEWER #2 SEWR M 31-037205 521 COLONY RD 0.134 4/01/2010  ON
Serial: #2 Sewer Meter MANUAL

WATER 58881007 31-037225  CAROLINA AVE WATER 1.000 S-P 2" 1/01/2001 1/29/2001  ON
Serial: 58881007 MANUAL 1/01/2002

WATER 0037255  31-037255  BEYOND CVTC 1.000 R-T 1 0/00/2000  OFF
Serial: 0037255 MANUAL

WATER 37257 31-037257  BEYOND CVTC 1.000 S- 5/8 0/00/2000  OFF
Serial: 37257 MANUAL

WATER 70930708 31-059000 219 S RIVERVIEW RD 1.000 S-C 3" 5/01/2009 5/18/2009  ON
Serial: 70930708 MANUAL 5/01/2009

WATER 73987920 31-059000 219 S RIVERVIEW RD 1.000 s 5/8" 10/23/2012  ON
Serial: 73987920 MANUAL

WATER 99962794 31-059000 219 S RIVERVIEW RD 1.000 IPERL 3" 4/03/2025  ON
Serial: 99962794 MANUAL

WATER 82386618 31-060900 202 MAIN ST 1.000 S 5/8" 7/10/2017 OFF
Serial: 82386618 1.000 MANUAL





2/11/2026 12:39 PM METER REPORT PAGE : 2

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 31 - COM BK 1

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 82386620 31-061100 201 MAIN ST 1.000 s 5/8" 7/10/2017 OFF
Serial: 82386620 1.000 MANUAL

WATER 68691787 31-062510 181 MAIN ST 1.000 R-P 5/8 1/01/2009 2/18/2009 ON
Serial: 68691787 MANUAL 1/01/2009

WATER 75618689 31-063310 5201 S AMHERST HWY 1.000 s 5/8" 10/26/2015 ON
Serial: 45618689 MANUAL

WATER 86011725 31-063800 117 MAIN ST 1.000 S 5/8" 12/26/2019 ON
Serial: 86011725 MANUAL

WATER 82386725 31-064200 111 MAIN ST 1.000 S 5/8" 7/10/2017 OFF
Serial: 82386725 1.000 MANUAL

WATER 54773280 31-065700 5153 5155 S AMHERST HWY 1.000 S-P 5/8 1/01/2004 12/30/2000  OFF
Serial: 54773280 MANUAL 1/01/2004

WATER 67412633 31-065800 5145 5147 S AMHERST HWY 1.000 R-P 5/8 1/01/2007 2/20/2007 OFF
Serial: 67412633 MANUAL 1/01/2007

WATER 82386724 31-066105 113 PHELPS RD 1.000 S 5/8" 7/10/2017 ON
Serial: 82386724 MANUAL

WATER 88119887 31-066500 123 PHELPS RD 1.000 s 2" 3/24/2021 ON
Serial: 88119887 MANUAL

WATER 88818931 31-066500 123 PHELPS RD 1.000 S 5/8" 3/24/2021  ON
Serial: 88818931 MANUAL

WATER 100933477 31-068802 137 EAST ST SHERWOOD APT 1.000 S-IPRL  5/8" 9/24/2025  ON
Serial: 100933477 MANUAL

WATER 100933502 31-068803 143 EAST ST SHERWOOD APTS 1.000 S-IPRL 5/8" 9/24/2025 ON
Serial: 100933502 MANUAL

WATER 73681683 31-069021 190 PHELPS RD 1.000 s 5/8" 6/03/2013 ON
Serial: 73681683 MANUAL

WATER 74098003 31-069021 190 PHELPS RD 1.000 sS-C2 11/2" 6/03/2013 ON
Serial: 71295185 TOUCH

WATER 90301818 31-069030 101 HIGH ST 1.000 s 5/8" 7/08/2022 ON
Serial: 90301818 MANUAL

WATER 88239380 31-069050 5086 S AMHERST HWY 1.000 S 5/8" 3/23/2020 ON
Serial: 88239380 MANUAL

WATER 72853855 31-071350 5076 S AMHERST HWY 1.000 s 5/8" 4/28/2011  ON
Serial: 72853855 MANUAL

WATER 82386877 31-071500 5066 S AMHERST HWY 1.000 s 5/8" 7/26/2017  ON
Serial: 82386877 MANUAL

WATER 58881012 31-074805 5016 S AMHERST HWY 1.000 S-P 2" 12/23/2013 ON
Serial: 58881012 MANUAL

WATER 90301447 31-074900 5033 S AMHERST HWY 1.000 s 5/8" 4/20/2022 ON
Serial: 90301447 MANUAL

WATER 903018000 31-074901 5023 S AMHERST HWY 1.000 s 5/8" 7/25/2022 ON
Serial: 903018000 MANUAL

WATER 59661953 31-074950 103-113 JEREMIAH CT 1.000 S-P A 1/01/2002 6/19/2002  ON
Serial: 59661953 MANUAL 1/01/2002

WATER 80012772 31-075049 5014 S AMHERST HWY 1.000 s 1 3/30/2016  ON
Serial: 80012772 MANUAL

WATER 70173402 31-075050 5010 S AMHERST HWY 1.000 s 1 3/08/2011  ON

Serial: 70173402 MANUAL





2/11/2026 12:39 PM METER REPORT PAGE : 3

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 31 - COM BK 1

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 71063275 31-075100 5008 S AMHERST HWY 1.000 S 5/8" 4/28/2011  ON
Serial: 71063275 MANUAL

WATER 70173411 31-075600  4993-4997 S AMHERST HWY 1.000 s 1 1/01/2009 2/06/2009  ON
Serial: 70173411 MANUAL 1/01/2009

WATER 70173412 31-075600  4993-4997 S AMHERST HWY 1.000 S 1 1/01/2009 2/06/2009  ON
Serial: 70173412 MANUAL 1/01/2009

WATER 70171326 31-075700 4998 S AMHERST HWY 1.000 R-P 5/8 1/01/2009 9/25/2009  ON
Serial: 70171326 MANUAL 1/01/2009

WATER 75618691 31-075800 4980 S AMHERST HWY 1.000 s 5/8" 10/26/2015  ON
Serial: 75618691 MANUAL

WATER 71063287 31-076005 4971 S AMHERST HWY 1.000 s 1 4/30/2013  ON
Serial: 71063287 MANUAL

WATER 89930354 31-076005 4971 S AMHERST HWY 1.000 S 11/2" 7/19/2024  ON
Serial: 89930354 MANUAL

WATER 72854234 31-090125  CEDAR CREST TOWNHOUS 1.000 s-C2 11/2" 4/20/2011  ON
Serial: 70379809 TOUCH 4/20/2011

WATER 80003230 31-090200 4927 S AMHERST HWY 1.000 S 5/8" 2/16/2017  ON
Serial: 80003230 MANUAL

WATER 82386720 31-093800 4909 S AMHERST HWY 1.000 s 5/8" 7/11/2017  ON
Serial: 82386720 MANUAL

WATER 82386722 31-093900 4903 S AMHERST HWY 1.000 s 5/8" 7/11/2017  ON
Serial: 82386722 MANUAL

WATER 72823921 31-094801 1539 S AMHERST HWY 1.000 s 5/8" 4/30/2013  ON
Serial: 72853921 MANUAL

WATER 82386674 31-094802 4851 S AMHERST HWY 1.000 S 5/8" 7/19/2017  ON
Serial: 82386674 MANUAL

WATER 68691737 31-095000 122 SEMINOLE DR 1.000 R-P 5/8 1/01/2009 2/04/2009  ON
Serial: 68691737 MANUAL 1/01/2009

WATER 67412651 31-095111 135 SEMINOLE DR 1.000 R-P 5/8 1/01/2007 2/14/2007  ON
Serial: 67412651 MANUAL 1/01/2007

WATER 82386498 31-095700 162 SEMINOLE DR 1.000 s 5/8" 11/30/2017  ON
Serial: 82386498 MANUAL

WATER 58403071 31-095901  BRANCH DR 1.000 S-P 2" 1/01/2001 1/07/2003  ON
Serial: 58403071 MANUAL 1/01/2001

WATER 56458033 31-101210 115 SEMINOLE DR 1.000 s 5/8" 7/13/2011  ON
Serial: 56458033 MANUAL

WATER 56458029 31-101215 111 SEMINOLE DR 1.000 S 5/8" 12/26/2015  ON
Serial: 56458029 MANUAL

WATER 75618690 31-101300 4835 S AMHERST HWY 1.000 s 5/8" 10/26/2015  ON
Serial: 75618690 MANUAL

WATER 72853832 31-101400 4831 S AMHERST HWY 1.000 S 5/8" 4/30/2013  ON
Serial: 72853832 MANUAL

WATER 88239382 31-101405 4819 S AMHERST HWY 1.000 S 5/8" 3/23/2020  ON
Serial: 88239382 MANUAL

WATER 96689078 31-101500 4813 S AMHERST HWY 1.000 S-IPRL  5/8" 3/25/2025  ON
Serial: 96689078 MANUAL

WATER 43177910 31-101600 4811 S AMHERST HWY 1.000 R-P 1/01/1989 3/01/1989  ON

Serial: 43177910 MANUAL 1/01/1989





2/11/2026 12:39 PM METER REPORT PAGE : 4

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 31 - COM BK 1

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 100933495 31-101600 4811 S AMHERST HWY 1.000 S-IPRL 5/8" 10/22/2025  ON
Serial: 100933495 MANUAL

WATER 70173409 31-101705 4799 S AMHERST HWY 1.000 S 1 1/01/2009 2/05/2009  ON
Serial: 70173409 MANUAL 1/01/2009

WATER 70163285 31-101710 4790 S AMHERST HWY 1.000 S-P 5/8 1/01/2010 11/17/2025 ON
Serial: 70163285 MANUAL 1/01/2010

WATER 96689010 31-101800 4804 S AMHERST HWY 1.000 S-IPRL  5/8" 1/14/2026  ON
Serial: 96689010 MANUAL

WATER 84007986 31-101900 4812 S AMHERST HWY 1.000 S 5/8" 8/21/2024  ON
Serial: 84007986 MANUAL

WATER 98166968 31-101900 4812 S AMHERST HWY 1.000 s 2" 3/19/2024  ON

MANUAL

WATER 67412647 31-102000 4826 S AMHERST HWY 1.000 R-P 5/8 1/01/2007 2/14/2007  ON
Serial: 67412647 MANUAL 1/01/2007

WATER 82386721 31-102100 4830 S AMHERST HWY 1.000 s 5/8" 7/11/2017  ON
Serial: 82386721 MANUAL

WATER 67641021 31-102200 4842 S AMHERST HWY 1.000 -P 5/8 1/01/2008 2/05/2008  ON
Serial: 67641021 MANUAL 1/01/2008

WATER 46711655 31-102300 4848 S AMHERST HWY 1.000 S-P 1/01/2007 4/23/1993  ON
Serial: 46711655 MANUAL 1/01/2007

WATER 70171265 31-102305 4864 S AMHERST HWY 1.000 R-P 5/8 1/01/2009 9/24/2009  ON
Serial: 70171265 MANUAL 1/01/2009

WATER 66214230 31-102325 4880 S AMHERST HWY 1.000 S-P 5/8 1/01/2006 3/09/2006  ON
Serial: 66214230 MANUAL 1/01/2006

WATER 89790793 31-102326 4886 S AMHERST HWY 1.000 S 5/8" 5/25/2023  ON
Serial: 89790793 MANUAL

WATER 46711410 31-102327 4898 S AMHERST HWY 1.000 S-P 1/01/2007 8/18/1993  ON
Serial: 46711410 MANUAL 1/01/2007

WATER 82386622 31-102335 112 LYTTLETON LN 1.000 S 5/8" 7/10/2017  ON
Serial: 82386622 MANUAL

WATER 29094447 31-102374 150 RIVER JAMES SHOPPING 1.000 S-P 11/2" 1/01/2004 12/30/2000  ON
Serial: 29094447 MANUAL 1/01/2004

WATER 60287213 31-102374 150 RIVER JAMES SHOPPING 1.000 S-P 1 1/01/2004 12/30/2000  ON
Serial: 60287213 MANUAL 1/01/2004

WATER 62423629 31-102374 150 RIVER JAMES SHOPPING 1.000 S-P 11/2" 1/01/2004 12/30/2000  ON
Serial: 62423629 MANUAL 1/01/2004

WATER 58575764 31-102375 174 RIVER JAMES HWY 1.000 R-P 1/01/2001 9/21/2001  ON
Serial: 58575764 MANUAL 1/01/2001

WATER 88239383 31-102375 174 RIVER JAMES HWY 1.000 s 5/8" 3/23/2020  ON
Serial: 88239383 MANUAL

WATER 82386673 31-102379 200 RIVER JAMES SHOPPING 1.000 s 5/8" 7/18/2017  ON
Serial: 82386673 MANUAL

WATER 58403073 31-102400 287 LEARNING LN 1.000 S-P A 1/01/2005 7/07/2005  ON
Serial: 58403073 MANUAL 1/01/2005

WATER 84008046 31-113200 195 COMMUNICATION CT 1.000 s 5/8" 2/28/2018  ON
Serial: 84008046 MANUAL

WATER 68691738 31-113500 168 RECYCLE RD 1.000 R-P 1/01/2009 2/06/2009  ON

Serial: 68691738 MANUAL 1/01/2009





2/11/2026 12:39 PM METER REPORT PAGE :
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 31 - COM BK 1
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 59295675 31-113700 1078 WRIGHT SHOP RD 1.000 R-P 5/8 1/01/2002 3/05/2002  OFF
Serial: 59295675 MANUAL 1/01/2002
WATER 68691758 31-113710 LOWER CT COMM CT &MOBILE LN 1.000 IPERL 1 1/01/2009 2/06/2009  ON
Serial: 68691758 MANUAL 1/01/2009
WATER 90301448 31-113800 187 COMMUNICATION CT 1.000 S 5/8" 4/21/2022  ON
Serial: 90301448 MANUAL

WATER 80012774 31-113810  UPPER CT COMM CT & LANGLEE CT  1.000 S 1 10/26/2015  ON
Serial: 80012774 MANUAL

WATER 72853789 31-114020 967 WRIGHT SHOP RD 1.000 S 5/8" 3/22/2013 ON
Serial: 72853789 MANUAL

WATER 80003233 31-116400  POMONA DR 1.000 s 5/8" 2/16/2017  ON
Serial: 80003233 MANUAL

WATER 86011802 31-118405 547 OLD WRIGHT SHOP ROAD 1.000 s 5/8" 10/30/2019  ON
Serial: 86011802 MANUAL

WATER 67641002 31-120740 143 S HILLCREST DR &145 1.000 R-P 5/8 1/01/2007 12/18/2007  ON
Serial: 67641002 MANUAL 1/01/2007

WATER 67641005 31-120741 153 S HILLCREST DR & 155 1.000 S-P 5/8 1/01/2007 12/18/2007  ON
Serial: 67641005 MANUAL

WATER 68691739 31-121710 527 OLD WRIGHT SHOP RD 1.000 R-P 5/8 1/01/2009 2/06/2009  OFF
Serial: 68691739 MANUAL 1/01/2009

WATER 86011942 31-121810 517 OLD WRIGHT SHOP RD 1.000 s 5/8" 2/25/2019  ON
Serial: 86011942 MANUAL

WATER 80003232 31-122010 505 OLD WRIGHT SHOP RD 1.000 s 5/8" 2/16/2017  ON
Serial: 80003232 MANUAL

WATER 75618770 31-122100 494 OLD WRIGHT SHOP RD 1.000 S 5/8" 7/23/2013  ON
Serial: 75618770 MANUAL

WATER 68708214 31-122207 107,109 AIDEN WAY 111 1.000 s 1 1/01/2008 12/16/2008  ON
Serial: 68708214 MANUAL

WATER 71458527 31-125500 353 OLD WRIGHT SHOP RD 1.000 S-P 1/01/2010 4/15/2010  ON
Serial: 71458527 MANUAL 1/01/2010

WATER 61088170 31-130020 129 KROEING LN 131, 139, 141 1.000 s 1 1/01/2005 8/15/2005  ON
Serial: 61088170 MANUAL

WATER 61088167 31-130025 108 KROEING LN 110, 126, 128 1.000 S 1 1/01/2005 4/27/2005  ON
Serial: 61088167 MANUAL

WATER 60188163 31-130030 339,341 OLD WRIGHT SHOP RD 34 1.000 S 1 1/01/2004 11/18/2004  ON
Serial: 60188163 MANUAL

WATER 86011803 31-141350 300 OLD WRIGHT SHOP RD 1.000 S 5/8" 10/25/2019  ON
Serial: 86011803 MANUAL

WATER 70173406 31-142120 186 OLD WRIGHT SHOP RD 1.000 s 1 1/01/2009 2/09/2009  ON
Serial: 70173406 MANUAL 1/01/2009

WATER 75618694 31-143301 138 TYREE CIR 1.000 S 5/8" 3/01/2016 3/22/2016  ON
Serial: 75618694 MANUAL

WATER 88239914 31-144720  TYREE CIR MBL HM PRK 1.000 s 5/8" 7/28/2021  ON

MANUAL

WATER 71063270 31-145410 527 & 529 RIIVERVIEW RD 1.000 S-P 1 10/04/2013  ON
Serial: 71063270 MANUAL

WATER 71063281 31-145410 527 & 529 RIIVERVIEW RD 1.000 S-P 1 10/04/2013  ON
Serial: 71063281 MANUAL





2/11/2026 12:39 PM METER REPORT PAGE :
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 31 - COM BK 1
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 80003231 31-145500 171 WRIGHT SHOP RD 1.000 S 5/8" 2/16/2017  ON
Serial: 80003231 MANUAL
WATER 82386723 31-146110 143 WRIGHT SHOP RD 1.000 s 5/8" 7/11/2017  ON
Serial: 82386723 MANUAL
WATER 68672101 31-146650 2579 GALTS MILL RD 1.000 S-P 1/01/2008 6/03/2008  ON
Serial: 68672101 MANUAL
WATER 73681772 31-146675 2602 GALTS MILL RD 1.000 s 5/8" 7/25/2012  OFF
Serial: 73681772 1.000 MANUAL
WATER 88239391 31-146700 272 COUNTRY LIVING LN 1.000 S 5/8" 3/23/2020  ON
Serial: 88239391 MANUAL
WATER 80003088 31-146703 100 WRIGHT SHOP RD 1.000 S 5/8" 6/28/2017  ON
Serial: 80003088 MANUAL
WATER 82386719 31-146800 1558 DIXIE AIRPORT RD 1.000 S 5/8" 7/11/2017  ON
Serial: 82386719 MANUAL
WATER 72853923 31-146900 1547 DIXIE AIRPORT RD 1.000 s 5/8" 4/30/2013  OFF
Serial: 72853923 1.000 MANUAL
WATER 72853830 31-146910 1367 DIXIE AIRPORT RD 1.000 S 5/8" 4/30/2013  ON
Serial: 72853830 MANUAL
WATER 71063286 31-146911 496 DOGWOOD DR 1.000 s 1 1/04/2011  ON
MANUAL
WATER 88413105 31-146985 715 KENTMOOR FARM RD 1.000 s 11/2" 5/23/2022  ON
Serial: 88413105 MANUAL
WATER 70171160 31-146989 715 KENTMOOR FARM RD 1.000 R-P 1/01/2009 9/22/2009  ON
Serial: 70171160 MANUAL 1/01/2009
WATER 68692069 31-146990 375 KENTMOOR FARM RD 1.000 S-P 1/01/2008 1/23/2008  ON
Serial: 68692069 MANUAL 1/01/2008
WATER 71033280 31-146995 154 BETHLEHEM DR 1.000 s 5/8" 4/28/2011  ON
Serial: 71033280 MANUAL
WATER 58881011 31-146996 325 TANGLEWOOD DR 1.000 S-P 2n" 1/01/2002 2/06/2002  ON
Serial: 58881011 MANUAL 1/01/2002
WATER 82387510 31-146997 132 SHERWOOD LN & 134 1.000 s 5/8" 7/19/2017  ON
Serial: 82387510 MANUAL
WATER 70171194 31-146998 1299 DIXIE AIRPORT RD 1.000 R-P 5/8 1/01/2009 9/30/2009  ON
Serial: 70171194 MANUAL 1/01/2009
WATER 70171267 31-146999 1149 DIXIE AIRPORT RD 1.000 R-P 5/8 1/01/2009 9/30/2009  ON
Serial: 70171267 MANUAL 1/01/2009
WATER 72853922 31-147490 343 LAKEVIEW DR 1.000 S 5/8" 4/30/2013  ON
Serial: 72853922 MANUAL
WATER 58575703 31-147500 248 LAKEVIEW DR 1.000 R-P 1/01/2001 10/29/2001  ON
Serial: 58575703 MANUAL 1/01/2001
WATER 59011110 31-147900  SOUTH OAK DR 1.000 R-P 1/01/2002 2/18/1921  ON
Serial: 59011110 MANUAL 1/01/2002
WATER 80002971 31-148005 161 SHRADER DR 1.000 s 5/8" 2/16/2017  ON
Serial: 80002971 MANUAL
WATER 86011687 31-148010 139 & 143 SHRADER DR 1.000 S 5/8" 8/26/2019  ON
Serial: 86011687 MANUAL
WATER 86011686 31-148050 200 LAKEVIEW DR 1.000 S 5/8" 8/26/2019  ON
Serial: 86011686 MANUAL





2/11/2026 12:39 PM

DT PURCHSED:
DT INSTALL:
DT REPAIR:
DT TESTED:
BOOK:

0/00/0000 TO 99/99/9999

1/01/1900 TO 2/11/2026

0/00/0000 TO 99/99/9999

0/00/0000 TO 99/99/9999
31 - COM BK 1

- METER GROUP - METER NO# ACCOUNT NO#

WATER

Serial:
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Serial:
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Serial:
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Serial:
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Serial:
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WATER

METER REPORT PAGE :
SEQ :ACCOUNT
SIZE :All Sizes
MAKE :All Makes
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
--MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
189 LAKEVIEW DR 1.000 s 5/8" 4/27/2015  OFF
1.000 MANUAL
185 LAKEVIEW DR 1.000 R-P 5/8 1/01/1992 2/28/1992  ON
MANUAL 1/01/1992
LAKEVIEW DR 1.000 S 5/8" 4/08/2021  OFF
1.000 MANUAL
LAKEVIEW DR 1.000 R-P 5/8 1/01/2009 2/06/2009  OFF
MANUAL 1/01/2009
158 LAKEVIEW DR 1.000 S-P 5/8 1/01/2009 9/30/2009  ON
MANUAL 1/01/2009
LAKEVIEW DR 1.000 S 5/8" 6/01/2011  ON
MANUAL
SEMINOLE SHOPPING CT 1.000 S 5/8" 7/11/2017  OFF
1.000 MANUAL
SP SHOPPING CTR 1.000 S 5/8" 7/11/2017  ON
MANUAL
161 SEMINOLE SHOPPING CT 1.000 S 5/8" 7/11/2017  ON
MANUAL
151 SEMINOLE SHOPPING CT 1.000 R-P 5/8 1/01/2009 2/09/2009  OFF
MANUAL 1/01/2009
151 SEMINOLE SHOP CTR LOWER 1.000 R-P 1/01/2009 2/09/2009  OFF
MANUAL 1/01/2009
149 SEMINOLE SHOPPING CT 1.000 R-P 5/8 1/01/2005 1/28/2005  OFF
MANUAL 1/01/2005
140 LAKEVIEW DR 1.000 S 1 1/01/2009 2/04/2009  ON
MANUAL 1/01/2009
131 LAKEVIEW DR 1.000 S 1 9/26/2012  ON
MANUAL
117 LAKEVIEW DR 1.000 R-P 5/8 1/01/2009 2/09/2009  ON
MANUAL 1/01/2009
5174 S AMHERST HWY 1.000 s 5/8" 7/11/2017  ON
MANUAL
5184 S AMHERST HWY 1.000 S-P 5/8 1/01/2010 4/15/2010  ON
MANUAL 1/01/2010
129 MERRY ACRES DR 1.000 S 5/8" 7/11/2017  ON
MANUAL
5216 S AMHERST HWY 1.000 S 1 1/01/2009 9/23/2009  OFF
MANUAL 1/01/2009
151 MARTINS LN 1.000 S-P 1 1/01/2010 3/23/2010  ON
MANUAL 1/01/2010
5236 S AMHERST HWY 1.000 S 5/8" 10/24/2016  ON
MANUAL
5231 S AMHERST HWY OFFICE 1.000 S 5/8" 7/11/2017  ON
MANUAL
5231 S AMHERST HWY SHOP 1.000 s 5/8" 7/11/2017  ON
MANUAL
122 COLONY RD 1.000 S 5/8" 7/11/2017  ON
MANUAL

Serial:

75618674 31-148207

28696619 31-148210
28696619

88239755 31-148211
88239755

70173405 31-148212
70173405

70171191 31-148213
70171191

72853942 31-148214
72853942

82386641 31-148215
82386641

82386717 31-148216
82386717

82386715 31-148217
82386715

68691760 31-148220
68691760

68691759 31-148221
68691759

60181366 31-148222
60181366

70173410 31-148224
70173410

71063274 31-148225
71063274

68691761 31-148226
68691761

82386716 31-148300
82386716

71458547 31-148305
71458547

82386718 31-148490
82386718

70171640 31-148500
70171640

68708208 31-148620
68708208

80003089 31-148700
80003089

82386714 31-148800
82386714

82387511 31-148815
82387511

82386640 31-149210
82386640
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DT PURCHSED:
DT INSTALL:
DT REPAIR:
DT TESTED:
BOOK:

0/00/0000 TO 99/99/9999

1/01/1900 TO 2/11/2026

0/00/0000 TO 99/99/9999

0/00/0000 TO 99/99/9999
31 - COM BK 1

- METER GROUP - METER NO# ACCOUNT NO#
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WATER

Serial:

METER REPORT PAGE :
SEQ :ACCOUNT
SIZE :All Sizes
MAKE :All Makes
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
--MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
128 OLD TOWN CONNECTOR 1.000 S 5/8" 7/11/2017  ON
MANUAL
5341 S AMHERST HWY 1.000 S 5/8" 7/18/2017  ON
MANUAL
100 OTWAY DR 1.000 S 1 1/01/2009 2/09/2009  ON
MANUAL 1/01/2009
114 OTWAY DR 1.000 S 1 1/01/1996 2/02/2009  ON
MANUAL 1/01/1996
5363 S AMHERST HWY 1.000 s 5/8" 7/24/2018  ON
MANUAL
29-A RT CAR WASH 1.000 S 5/8" 2/15/2011  OFF
1.000 MANUAL
5397 S AMHERST HWY 1.000 S-P 1 1/01/2005 3/10/2005  OFF
MANUAL 1/01/2005
5388 S AMHERST HWY 1.000 S 5/8" 2/16/2017  ON
MANUAL
5408 S AMHERST HWY 1.000 S-P 5/8 1/01/2006 3/09/2006  ON
MANUAL 1/01/2006
5493 S AMHERST HWY 1.000 S 1 1/01/2004 3/11/2004  ON
MANUAL 1/01/2005
111 ROCKY HILL RD 1.000 s 5/8" 7/18/2017  OFF
1.000 MANUAL
OLD MADISON RD 1.000 IPERL 1 3/04/2025  ON
MANUAL
122 ROCKY HILL RD 1.000 S 5/8" 7/30/2024  OFF
1.000 MANUAL
150 ROCKY HILL RD 1.000 S 5/8" 6/16/2022  ON
MANUAL
8 APTS SPRING GROVE LN 1.000 S 1 1/01/2009 2/09/2009  ON
MANUAL 1/01/2009
123 GROVE AVE 1.000 S 5/8" 8/23/2019  ON
MANUAL
121 GROVE AVE 1.000 S-P 5/8 1/01/2007 2/15/2007  ON
MANUAL 1/01/2007
S AMHERST HWY 1.000 R-P 1 1/01/2002 4/29/2002  ON
MANUAL 1/01/2002
4783 S AMHERST HWY 1.000 S 1 1/01/2009 2/13/2009  ON
MANUAL 1/01/2009
113 & 121 SHRADER DR 1.000 S 5/8" 7/26/2017  ON
MANUAL
143 SEMINOLE SHOPPING CT 1.000 R-P 5/8 9/08/1999  ON
MANUAL
SEMINOLE SHOPPING CT 1.000 s 5/8" 4/30/2013  ON
MANUAL
SEMINOLE SHOPPING CT 1.000 s 5/8" 4/22/2022  ON
MANUAL
123 SEMINOLE PLZ 1.000 S 5/8" 3/01/2020  OFF

WATER

82386636 31-149220

82386636

82386647 31-149300
82386647

68708204 31-149310
68708204

50231979 31-149320
50231979

80002863 31-149920
80002863

70171178 31-149921
70171178

64642722 31-149922
64642722

80002970 31-149925
80002970

66213780 31-149968
66213780

61088161 31-149970
61088161

82386639 31-151300
82386639

93238870 31-151312
93238870

90301598 31-151400
90301598

88239385 31-151501
88239385

68708205 31-261700
68708205

86011704 31-262250
86011704

67412650 31-262300
67412650

59661951 31-262500
59661951

68708198 31-262700
68708198

82386881 31-262901
82386881

54773297 31-262904
54773297

72853833 31-262905
72853833

90301721 31-262906
90301721

84008052 31-262910

1.000

MANUAL





2/11/2026 12:39 PM METER REPORT PAGE : 9
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 31 - COM BK 1
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 67412648A 31-263000 119 SEMINOLE PLZ 1.000 R-P 5/8 1/01/2007 2/15/2007  ON
Serial: 67412648 MANUAL 1/01/2007
WATER 84007997 31-263010 117 SEMINOLE PLZ 1.000 s 5/8" 9/17/2018  OFF
Serial: 84007997 1.000 MANUAL

WATER 67412649 31-263015 117 SEMINOLE PLZ 1.000 R-P 5/8 1/01/2007 2/14/2007  OFF
Serial: 67412649 MANUAL 1/01/2007

WATER 56458163 31-263200 113 SEMINOLE SHOPPING CT 1.000 R-P 1/01/2001 7/25/2001  ON
Serial: 56458163 MANUAL 1/01/2001

WATER 68708210 31-263600 115 SEMINOLE PLAZA 1.000 S 1 11/01/2008 11/24/2008  OFF
Serial: 68708210 MANUAL 11/01/2008

WATER 67412634 31-263601 109 SEMINOLE SHOPPING CT 1.000 S-P 5/8 1/01/2007 2/20/2007  ON
Serial: 67412634 MANUAL 1/01/2007

WATER 67412630 31-263700 4743 S AMHERST HWY 1.000 R-P 5/8 1/01/2007 2/20/2007  ON
Serial: 67412630 MANUAL 1/01/2007

WATER 71458451 31-264200 4689 S AMHERST HWY 1.000 s 1 3/15/2011  ON
Serial: 71458451 MANUAL

WATER 80003392 31-264900 4673 S AMHERST HWY 1.000 S 5/8" 2/16/2017  ON
Serial: 80003392 MANUAL

WATER 89570847 31-264905 115 TOWN CENTER PRKWY & 131 1.000 S 3/4" 6/28/2024  ON
Serial: 89570847 MANUAL

WATER 95885995 31-264905 115 TOWN CENTER PRKWY & 131 1.000 s 3" 6/28/2024  ON
Serial: 95885995 MANUAL

WATER 72853924 31-266601 4623 S AMHERST HWY 1.000 s 5/8" 4/30/2013  ON
Serial: 72853924 MANUAL

WATER 90301799 31-266800 4617 S AMHERST HWY 1.000 S 5/8" 6/22/2022 6/22/2022  ON
Serial: 90301799 MANUAL

WATER 86011914 31-267000 4603 S AMHERST HWY 1.000 s 5/8" 6/21/2019  ON
Serial: 86011914 MANUAL

WATER 75618659 31-267200 4591 S AMHERST HWY 1.000 S 5/8" 1/10/2018  OFF
Serial: 75618659 1.000 MANUAL

WATER 82386642 31-267300 4579 S AMHERST HWY 1.000 s 5/8" 7/18/2017  ON
Serial: 82386642 MANUAL

WATER 90301534 31-267400 4571 S AMHERST HWY 1.000 s 5/8" 4/22/2022  ON
Serial: 90301534 MANUAL

WATER 75618639 31-267700 4555 S AMHERST HWY 1.000 s 5/8" 10/08/2015  ON
Serial: 75618639 MANUAL

WATER 70173403 31-267800  4539-4545 S AMHERST HWY 1.000 s 1 1/01/2009 2/11/2009  ON
Serial: 70173403 MANUAL 1/01/2009

WATER 59661950 31-268100 4535 S AMHERST HWY 1.000 s 1 4/29/2002  ON
Serial: 59661950 MANUAL

WATER 59660685 31-268200 4533 S AMHERST HWY 1.000 S 1 1/01/2001 4/29/2002  ON
Serial: 59660685 MANUAL 1/01/2001

WATER 68691762 31-268300 4531 S AMHERST HWY 1.000 R-P 5/8 1/01/2009 2/09/2009  ON
Serial: 68691762 MANUAL 1/01/2009

WATER 73987941 31-268400 4529 S AMHERST HWY 1.000 S 5/8" 8/09/2014  ON
Serial: 73987941 MANUAL

WATER 84008025 31-268500 4511 S AMHERST HWY 1.000 s 5/8" 2/27/2018  ON
Serial: 84008025 MANUAL





2/11/2026 12:39 PM METER REPORT PAGE : 10

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 31 - COM BK 1

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 82387513 31-268520 4465 S AMHERST HWY 1.000 S 5/8" 7/24/2017  ON
Serial: 82387513 MANUAL

WATER 82387512 31-268520 4465 S AMHERST HWY 1.000 s 5/8" 7/24/2017  ON
Serial: 82387512 MANUAL

WATER 90301735 31-268600 4449 S AMHERST HWY 1.000 S 5/8" 6/22/2022  ON
Serial: 90301735 MANUAL

WATER 90301487 31-269500 4401 S AMHERST HWY 1.000 S 5/8" 9/24/2021  ON
Serial: 90301487 MANUAL

WATER 50442266 31-271010 257 TROJAN RD 1.000 s-P A 1/01/1997 8/12/1997  ON
Serial: 50442266 MANUAL 1/01/1997

WATER 88239390 31-271012 319 TROJAN RD 1.000 S 5/8" 3/23/2020  ON
Serial: 88239390 MANUAL

WATER 50231985 31-271013 265 TROJAN RD 1.000 s 1 1/01/1998 2/24/2000  ON
Serial: 50231985 MANUAL 1/01/1998

WATER 51728975 31-271015 257 TROJAN RD 1.000 S-P A 1/01/1997 8/12/1997  ON
Serial: 51728975 MANUAL 1/01/1997

WATER 80012767 31-274800 4454 S AMHERST HWY 1.000 S 1 10/27/2015  ON
Serial: 116923 MANUAL

WATER 73987849 31-274801 621 DILLARD RD 1.000 s 5/8" 4/25/2012  ON
Serial: 73987849 MANUAL

WATER 71458524 31-274880 636 DILLARD RD 1.000 S-P 5/8 1/01/2010 4/15/2010  ON
Serial: 71458524 MANUAL 1/01/2010

WATER 75618740 31-280475 581 RIVER RD 1.000 s 5/8" 4/27/2015  OFF
Serial: 75618740 1.000 MANUAL

WATER 61088160 31-280500 104 TATOO LN 1.000 S-P 1/01/2004 2/03/2005  ON
Serial: 61088160 MANUAL

WATER 72853803 31-283708 692 DILLARD RD 1.000 s 5/8" 4/30/2013  ON
Serial: 72853803 MANUAL

WATER 66214227 31-283709 696 DILLARD RD 1.000 S 1 1/01/2007 2/20/2007  ON
Serial: 66214227 MANUAL 1/01/2007

WATER 68691849 31-283800 4482 S AMHERST HWY 1.000 R-P 5/8 1/01/2009 2/10/2009  ON
Serial: 68691849 MANUAL 1/01/2009

WATER 56458147 31-283900 4498 S AMHERST HWY 1.000 S-P 5/8 1/01/2001 7/26/2001  ON
Serial: 56458147 MANUAL

WATER 82387507 31-284000 4512 S AMHERST HWY 1.000 s 5/8" 7/24/2017  OFF
Serial: 82387507 1.000 MANUAL

WATER 82387508 31-284000 4512 S AMHERST HWY 1.000 S 5/8" 7/24/2017  OFF
Serial: 82387508 1.000 MANUAL

WATER 64642725 31-284100 4520 S AMHERST HWY 1.000 S-P 5/8 1/01/2005 3/10/2005  ON
Serial: 64642725 MANUAL 1/01/2005

WATER 71063277 31-284200 4536 S AMHERST HWY 1.000 S 1 1/21/2014  ON
Serial: 71063277 MANUAL

WATER 84007940 31-284250 157 STOWAWAY LN 1.000 S 5/8" 3/28/2018  ON
Serial: 84007940 MANUAL

WATER 67412631 31-284300 4568 S AMHERST HWY 1.000 R-P 5/8 1/01/2007 2/20/2007  ON
Serial: 67412631 MANUAL 1/01/2007

WATER 75618665 31-284400 4574 S AMHERST HWY 1.000 s 5/8" 10/27/2015  ON

Serial: 75618665 MANUAL





2/11/2026 12:39 PM METER REPORT PAGE : 11

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 31 - COM BK 1

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 68691850 31-284600 4588 S AMHERST HWY 1.000 R-P 5/8 1/01/2009 2/10/2009  ON
Serial: 68691850 MANUAL 1/01/2009

WATER 70173404 31-284800  BUDDYS DR 1.000 R-P 1 1/01/2009 2/10/2009  ON
Serial: 70173404 MANUAL 1/01/2009

WATER 86011933 31-284900 4614 S AMHERST HWY 1.000 S 5/8" 3/12/2019  ON
Serial: 86011933 MANUAL

WATER 82386643 31-286500 4650 S AMHERST HWY 1.000 s 5/8" 7/18/2017  ON
Serial: 82386643 MANUAL

WATER 96689008 31-286700 4656 S AMHERST HWY 1.000 S-IPRL  5/8" 3/25/2025  ON
Serial: 96689008 MANUAL

WATER 68708199 31-286800 4664 S AMHERST HWY 1.000 S-P 5/8 1/01/2009 5/08/2009  ON
Serial: 68708199 MANUAL 1/01/2009

WATER 73987900 31-286900 4678 S AMHERST HWY 1.000 S 5/8" 1/03/2014 1/02/2014  ON
Serial: 73987900 MANUAL

WATER 75618675 31-287000 4692 S AMHERST HWY 1.000 s 5/8" 4/27/2015  OFF
Serial: 75618675 1.000 MANUAL

WATER 67412632 31-287100 4698 S AMHERST HWY 1.000 S-P 5/8 1/01/2007 2/20/2007  ON
Serial: 67412632 MANUAL 1/01/2007

WATER 75914338 31-289290 4712 S AMHERST HWY 1.000 s 5/8" 1/21/2020  ON
Serial: 75914338 MANUAL

WATER 68691851 31-289300 4728 S AMHERST HWY 1.000 R-P 5/8 1/01/2009 2/10/2009  ON
Serial: 68691851 MANUAL 1/01/2009

WATER 82386672 31-289400 4744 S AMHERST HWY 1.000 s 5/8" 7/18/2017  ON
Serial: 82386672 MANUAL

WATER 59660678 31-289500 4758 S AMHERST HWY 1.000 R-P 1/01/2001 4/29/2002  ON
Serial: 59660678 MANUAL 1/01/2001

WATER 98166967 31-289700 4764 S AMHERST HWY 1.000 s 2" 3/12/2024  ON
Serial: 98166967 MANUAL

WATER 67412629 31-291900 270 MAYS ST 1.000 S-P 5/8 1/01/2007 2/20/2007  ON
Serial: 67412629 MANUAL 1/01/2007

WATER 86011696 31-292100 263 MAYS ST 1.000 s 5/8" 7/25/2019  OFF
Serial: 86011696 1.000 MANUAL

WATER 80012770 31-300000 4243 S AMHERST HWY 1.000 s 1 10/27/2015  ON
Serial: 80012770 TOUCH

WATER 66214235 31-311705 424 WOODYS LAKE RD 1.000 s-P 1 1/01/2007 3/13/2007  ON
Serial: 66214235 MANUAL

WATER 73681797 31-317101 179 MADISON HEIGHTS SQ 1.000 S 5/8" 7/26/2012  ON
Serial: 73681797 MANUAL

WATER 73681798 31-317102 177 MADISON HEIGHTS SQ 1.000 s 5/8" 7/26/2012  ON
Serial: 73681798 MANUAL

WATER 73681801 31-317103 4189 S AMHERST HWY 103 1.000 S 5/8" 7/26/2012  ON
Serial: 73681801 MANUAL

WATER 52388629 31-317105 S AMHERST HWY & WOOD 1.000 7/11/1997  ON
Serial: 52388629 MANUAL

WATER 73681770 31-317110 169 MADISON HEIGHTS SQ 1.000 S 5/8" 7/26/2012  ON
Serial: 73681770 MANUAL

WATER 73681767 31-317111 167 MADISON HEIGHTS SQ 1.000 S 5/8" 7/25/2012  ON

Serial: 73681767 MANUAL
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DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 31 - COM BK 1

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 100933490 31-317113 163 MADISON HTS SQUARE 1.000 S-IPRL 5/8" 10/21/2025  ON
Serial: 100933490 MANUAL

WATER 73681799 31-317114 4187 S AMHERST HWY 106 1.000 s 5/8" 7/26/2012  ON
Serial: 73681799 MANUAL

WATER 73681802 31-317116 161 MADISON HEIGHTS SQ 1.000 S 5/8" 7/26/2012  ON
Serial: 73681802 MANUAL

WATER 51728974 31-317200 4191 S AMHERST HWY 1.000 s-P A 1/01/1996 5/28/1997  ON
Serial: 51728974 MANUAL 1/01/1996

WATER 42144368 31-317201 4191 S AMHERST HWY 1.000 S-P 1/01/1997 5/28/1997  ON
Serial: 42144368 MANUAL 1/01/2000

WATER 56458585 31-317211 4201 S AMHERST HWY 1.000 S 1 1/01/2001 12/01/2001  ON
Serial: 56458585 TOUCH

WATER 76782698 31-317211 4201 S AMHERST HWY 1.000 s 1 12/01/2014  ON
Serial: 76782698 TOUCH

WATER 61088179 31-317220 4221 S AMHERST HWY &4227 1.000 S-P 1 1/01/2004 10/13/2004  ON
Serial: 61088179 MANUAL

WATER 61088178 31-317221 4229 S AMHERST HWY 1.000 S-P 1 1/01/2004 10/13/2004  ON
Serial: 61088178 MANUAL

WATER 61088158 31-317300 4211 S AMHERST HWY 1.000 R-P 1 1/01/2004 10/13/2004  ON
Serial: 61088158 MANUAL 1/01/2004

WATER 70171192 31-317600 4133 S AMHERST HWY 1.000 R-P 5/8 1/01/2009 9/30/2009  ON
Serial: 70171192 MANUAL 1/01/2009

WATER 82386533 31-317900 4107 S AMHERST HWY 1.000 s 5/8" 1/09/2018  ON
Serial: 82386533 MANUAL

WATER 80012776 31-318100 4089 S AMHERST HWY & AMEL 1.000 s 1 11/08/2017  ON
Serial: 80012776 MANUAL

WATER 33979796 31-318105 138 AMELON EXPY 1.000 s 5/8" 4/01/2011  ON
Serial: 33979796 MANUAL

WATER 68691853 31-318105 138 AMELON EXPY 1.000 S 5/8" 1/01/2009 2/11/2009  ON
Serial: 68691853 MANUAL 1/01/2009

WATER 80012778 31-318200 118 OAKWOOD DR 1.000 s 1 6/27/2016  ON

Serial: 80012778 MANUAL
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DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 32 - COM BK 1
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- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 100933452 32-330000 4068 S AMHERST HWY & RT 1 1.000 S-IPRL 5/8" 10/23/2025  ON
Serial: 100933452 MANUAL

WATER 71063278 32-330010 134 ELON RD 1.000 s 1 8/22/2012  ON
Serial: 71063278 MANUAL

WATER 96056746 32-330012 109 CLEARVIEW RD 1.000 S 2n" 10/17/2023  ON
Serial: 96056746 MANUAL

WATER 89570858 32-330012 109 CLEARVIEW RD 1.000 S 3/4" 10/17/2023  ON
Serial: 89570858 MANUAL

WATER 93938318 32-330015 148 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938318 133295152 B

WATER 48659121 32-330020 178 ELON RD 1.000 R-C 2" 1/01/2009 2/11/2009  ON
Serial: 48659121 MANUAL 1/01/2009

WATER 68708212 32-330020 178 ELON RD 1.000 s-P A 1/01/2009 2/11/2009  ON
Serial: 68708212 MANUAL 1/01/2009

WATER 93938315 32-330114 572 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938315 133296450 B

WATER 68691769 32-330401 130 & 132 AUTUMN VIEW LN 1.000 S 5/8" 10/25/2011  ON
Serial: 68691769 MANUAL

WATER 56458589A 32-330405 134,136 & AUTUMN VIEW LN 138 1.000 S-P 5/8 1/01/2000 1/24/2001  ON
Serial: 56458589 MANUAL 1/01/2000

WATER 61088162 32-330433 7 AUTUMN VIEW LN 1.000 S-P 5/8 1/01/2004 10/26/2004  ON
Serial: 61088162 MANUAL

WATER 86011705 32-330439 149 AUTUMN VIEW LN 1.000 S 5/8" 8/23/2019  ON
Serial: 86011705 MANUAL

WATER 63056434 32-330443 143 & 145 AUTUMN VIEW LN 1.000 S-P 5/8 1/01/2004 7/23/2012  ON
Serial: 63056434 MANUAL

WATER 63056452E 32-330447 139 & 141 AUTUMN VIEW LN 1.000 S-P 5/8" 1/01/2006 5/24/2006  ON
Serial: 63056462 MANUAL

WATER 73987938 32-330455 121 AUTUMN VIEW LN & 123 1.000 S 5/8" 1/03/2014 1/02/2014  ON
Serial: 73987938 MANUAL

WATER 93938386 32-330502 840 ELON RD 1.000 S-IPRL 5/8" 10/01/2024 10/01/2024 ON
Serial: 93938386 133295034 MANUAL

WATER 93938373 32-330600 154 DONIGAN DR 1.000 S-IPRL 5/8" 9/30/2024 ON
Serial: 93938373 133295298 MANUAL

WATER 60287217 32-332090 ELON RD 1.000 s-P 1 1/01/2007 10/30/2007 ON
Serial: 60287217 MANUAL

WATER 80002968 32-332701 120 HORSESHOE BEND 1.000 S 5/8" 2/17/2017  OFF
Serial: 80002968 1.000 MANUAL

WATER 93938454 32-333300 1948 ELON RD 1.000 S-IPRL  5/8" 10/10/2024  OFF
Serial: 93938454 133301206 1.000 B

WATER 93938462 32-333303 1956 ELON RD 1.000 S-IPRL  5/8" 10/03/2024  ON
Serial: 93938462 133296438 B

WATER 93938311 32-333700 2120 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938311 133302546 MANUAL

WATER 82386677 32-334400 2450 ELON RD 1.000 s 5/8" 7/18/2017  ON
Serial: 82386677 MANUAL

WATER 93938457 32-334905 2537 ELON RD STATION 3 1.000 S-IPRL  5/8" 9/30/2024  ON

Serial: 93938457 133301210 B
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WATER 93938334 32-334906 2501 ELON RD 1.000 S-IPRL 5/8" 3/19/2025  ON
Serial: 93938334 133295348 MANUAL

WATER 93938338 32-334907 2495 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  OFF
Serial: 93938338 133286776 1.000 B

WATER 93938326 32-334908 2473 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938326 133295326 B

WATER 64642755 32-335010 2515 ELON RD 1.000 S-P 5/8 1/01/2005 7/20/2020  ON
Serial: 64642755 MANUAL 1/01/2005

WATER 93938324 32-336005 2379 ELON RD 1.000 S-IPRL 5/8" 9/30/2024 ON
Serial: 93938324 133295396 B

WATER 59430103 32-336500 147 YOUNGER DR 1.000 s-P 2" 11/03/2015  ON
Serial: 59430103 MANUAL

WATER 71063276 32-341160 497 ELON RD 1.000 s 1 7/25/2012  ON
Serial: 71063276 MANUAL

WATER 68691784 32-341475 350 MITCHELL BELL RD 1.000 R-P 1 1/01/2009 2/11/2009  ON
Serial: 68691784 MANUAL 1/01/2009

WATER 58403072 32-341480 450 MITCHELL BELL RD 1.000 S-P 2n" 1/01/2004 12/28/2004  ON
Serial: 58403072 MANUAL 1/01/2004

WATER 80012771 32-341490 271 MITCHELL BELL RD 1.000 IPERL 1 10/27/2015  ON
Serial: 80012771 TOUCH

WATER 61088166 32-341615 120 DILLARD RD 1.000 S 1 1/01/2005 3/11/2005  ON
Serial: 61088166 MANUAL 1/01/2005

WATER 58881008 32-341620 186 DILLARD RD 1.000 s-P A 1/01/2002 1/31/2002  ON
Serial: 58881008 MANUAL 1/01/2002

WATER 58403074 32-341630 118 ENTERPRISE DR 1.000 S-P A 11/23/2015 11/23/2015  ON
Serial: 58403074 MANUAL

WATER 68708213 32-341640 188 ENTERPRISE DR 1.000 s 1 1/01/2009 2/11/2009  ON
Serial: 68708213 MANUAL 1/01/2009

WATER 75618667 32-341650 117 ENTERPRISE DR 1.000 S 1 10/27/2015  ON
Serial: 75618667 MANUAL

WATER 75618664 32-341650 117 ENTERPRISE DR 1.000 S 1 11/23/2015  ON
Serial: 75618644 MANUAL

WATER 4863680  32-341680 348 DILLARD RD 1.000 s-P 1 1/01/2010 3/23/2010  ON
Serial: 4863680 MANUAL 1/01/2010

WATER 71063279 32-341680 348 DILLARD RD 1.000 s-P 1 1/01/2010 3/23/2010  ON
Serial: 71063279 MANUAL 1/01/2010

WATER 82386387 32-341690 291 DILLARD RD 1.000 S 5/8" 7/18/2017  ON
Serial: 82386387 MANUAL

WATER 82387515 32-341690 291 DILLARD RD 1.000 S 5/8" 7/18/2017  ON
Serial: 82387515 MANUAL

WATER 70171508 32-342710 161 DILLARD RD 1.000 S-P 5/8 1/01/2009 11/03/2009  ON
Serial: 70171508 MANUAL

WATER 70171246 32-342711 159 DILLARD RD 1.000 S-P 5/8 1/01/2009 6/28/2011  ON
Serial: 70171246 MANUAL

WATER 70171247 32-342712 157 DILLARD RD 1.000 S-P 5/8 1/01/2009 11/03/2009 ON
Serial: 70171247 MANUAL

WATER 70171506 32-342713 155 DILLARD RD 1.000 S-P 5/8 1/01/2009 11/03/2009 ON

Serial: 70171506 MANUAL
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WATER 75618717 32-343028 131 CRENNEL DR 1.000 S 5/8" 1/27/2014  ON
Serial: 75618717 MANUAL

WATER 82386388 32-343028 131 CRENNEL DR 1.000 s 5/8" 7/19/2017  ON
Serial: 82386388 MANUAL

WATER 82386675 32-343030 131 CRENNEL DR 1.000 S 5/8" 7/18/2017  ON
Serial: 82386675 MANUAL

WATER 70171174 32-343031 105 INTEGRITY LN 1.000 R-P 5/8 1/01/2009 9/30/2009  ON
Serial: 70171174 MANUAL 1/01/2009

WATER 73988022 32-343032 151 CRENNEL DR 1.000 s 5/8" 2/16/2015  ON
Serial: 73988022 MANUAL

WATER 93938418 32-343600 177 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938418 133296150 B

WATER 61088154 32-343900 4090 S AMHERST HWY 1.000 s-P 1 1/01/2004 4/08/2004  ON
Serial: 61088154 MANUAL 1/01/2004

WATER 19567086 32-343905 4090 S AMH HWY -IRRIGATIO 1.000 s 1 1/03/2004 1/01/2004  ON
Serial: 19567086 MANUAL

WATER 61088176 32-343905 4090 S AMH HWY -IRRIGATIO 1.000 S 1 1/01/2004 4/08/2004  ON
Serial: 61088176 MANUAL

WATER 67412710 32-344000 4104 S AMHERST HWY 1.000 S-P 5/8 1/01/2007 2/21/2007  ON
Serial: 67412710 MANUAL 1/01/2007

WATER 70171195 32-344200 4116 S AMHERST HWY 1.000 R-P 5/8 1/01/2009 9/30/2009  OFF
Serial: 70171195 MANUAL 1/01/2009

WATER 82386385 32-344300 4124 S AMHERST HWY 1.000 s 5/8" 7/19/2017  ON
Serial: 82386385 MANUAL

WATER 82386386 32-344500 4140 S AMHERST HWY 1.000 S 5/8" 7/19/2017  ON
Serial: 82386386 MANUAL

WATER 66213630 32-344600 4154 S AMHERST HWY 1.000 S-P 5/8 1/01/2006 3/10/2006  ON
Serial: 66213630 MANUAL 1/01/2006

WATER 64642801 32-344700 4176 S AMHERST HWY 1.000 R-P 5/8 1/01/2005 3/14/2005  OFF
Serial: 64642801 MANUAL 1/01/2005

WATER 88759433 32-344750 4176 S AMHERST HWY 1.000 S 11/2" 7/19/2021  ON
Serial: 88759433 TOUCH

WATER 64642728 32-344800 4196 S AMHERST HWY 1.000 S-P 1/01/2005 3/11/2005  ON
Serial: 64642728 MANUAL 1/01/2005

WATER 54773356 32-344900 120 GREAT OAKS DR 1.000 R-P 5/8 1/01/1998 6/24/1999  ON
Serial: 54773356 MANUAL 1/01/1998

WATER 61088174 32-344905 4206 S AMHERST HWY 1.000 s 1 1/01/2005 11/03/2005 ON
Serial: 61088174 MANUAL

WATER 61088175 32-344905 4206 S AMHERST HWY 1.000 S 1 1/01/2005 11/03/2005 ON
Serial: 61088175 MANUAL

WATER 66214226 32-346125 4246 S AMHERST 1.000 S-P 1 1/01/2006 10/23/2006  ON
Serial: 662142268 MANUAL 1/01/2006

WATER 90301720 32-346200 121 GREAT OAKS DR 1.000 s 5/8" 4/22/2022  ON
Serial: 90301720 MANUAL

WATER 84007951 32-346305 4262 S AMHERST HWY 1.000 S 5/8" 8/23/2018 8/27/2018  OFF
Serial: 84007951 1.000 MANUAL

WATER 54773279 32-346306 4262 S AMHERST HWY 1.000 R-P 5/8 1/01/1998 4/26/1999  ON

Serial: 54773279 MANUAL 1/01/1998
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WATER 71031979 32-346307 4262 S AMHERST HWY 1.000 S 5/8" 7/24/2018  ON
Serial: 71031979 MANUAL
WATER 49639690 32-346310 4312 S AMHERST HWY 1.000 S-P 1/01/1995 5/01/1995  ON
Serial: 49639690 MANUAL 1/01/1995
WATER 71063288 32-359400 220 AMELON RD 1.000 S 1 8/24/2012  ON
Serial: 71063288 MANUAL
WATER 54578699 32-359450 407 AMELON RD & 409 (DUP 1.000 S-P 1/01/1998 1/11/1999  ON
Serial: 54578699 MANUAL
WATER 54773394 32-359452 389 AMELON RD & 401 1.000 S-P 5/8 1/01/1998 5/03/1999  ON
Serial: 54773394 MANUAL
WATER 73987939 32-359456 375 AMELON RD & 377 1.000 S 5/8" 1/03/2014 1/02/2014 ON
Serial: 73987939 MANUAL
WATER 80002967 32-359460 355 AMELON RD & 357 1.000 S 5/8" 2/17/2017  ON
Serial: 80002967 MANUAL
WATER 9031668  32-359476 194 AMELON CENTER PKWY 1.000 s 5/8" 8/04/2021  ON
Serial: 90301668 MANUAL
WATER 95883393 32-359480 125 E PROGRESS LN 1.000 S 3" 12/05/2024  ON
Serial: 95883393 MANUAL
WATER 89570857 32-359480 125 E PROGRESS LN 1.000 S 3/4" 12/05/2024  ON
Serial: 89570857 MANUAL
WATER 68708211 32-359482 301 E PROGRESS LN 1.000 S-P 1 1/01/2008 1/15/2009  ON
Serial: 68708211 MANUAL
WATER 66214234 32-359490 100 W PROGRESS LN 1.000 S 1 1/01/2007 11/08/2007  ON
Serial: 66214234 MANUAL
WATER 61088171 32-359495 156 OLD DOMINION DR 1.000 s 1 1/01/2005 4/27/2005  ON
Serial: 61088171 MANUAL
WATER 66214242 32-359496 159 OLD DOMINION DR 1.000 s 1 1/01/2008 7/23/2008  ON
Serial: 66214242 MANUAL
WATER 88239869 32-359499 205 AMELON RD 1.000 S 5/8" 10/21/2020  ON
Serial: 88239869 MANUAL
WATER 56461457 32-359500 AMELON SQ SHOPPING C 1.000 S-P 2" 1/01/2003 9/05/2025  OFF
Serial: 56461457 MANUAL 1/01/2003
WATER 63056405 32-359500  AMELON SQ SHOPPING C 1.000 S-P 2" 1/01/2003 2/21/2003  ON
Serial: 63056405 MANUAL 1/01/2003
WATER 93713487 32-359501 192 AMELON SQ PLZ 1.000 s 5/8" 8/01/2025  ON
Serial: 93713487 MANUAL
WATER 100933470 32-359502 196 AMELON SQ PLZ 1.000 S 5/8" 8/01/2025  ON
Serial: 100933470 MANUAL
WATER 100933458 32-359503 200 AMELON SQUARE PLZ 1.000 s 5/8" 8/01/2025  ON
Serial: 100933458 MANUAL
WATER 100933459 32-359504 204 AMELON SQUARE PLZ 1.000 S 5/8" 8/01/2025  ON
Serial: 100933459 MANUAL
WATER 101179571 32-359505 208 AMELON SQ PLZ 1.000 S-IPRL  3/4" 8/27/2025  ON
Serial: 101179571 MANUAL
WATER 100933462 32-359506 212 AMELON SQ PLAZA 1.000 s 5/8" 8/01/2025  ON
Serial: 100933462 MANUAL
WATER 100933464 32-359507 216 AMELON SQ PLZ 1.000 s 5/8" 8/01/2025  ON
Serial: 100933464 MANUAL
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WATER 100933460 32-359508 220 AMELON SQ PLZ 1.000 S 5/8" 8/01/2025  ON
Serial: 100933460 MANUAL

WATER 100933461 32-359509 224 AMELON SQ 1.000 S 5/8" 7/28/2025  ON
Serial: 100933461 MANUAL

WATER 100933457 32-359510 228 AMELON SQ 1.000 S 5/8" 7/31/2025  ON
Serial: 100933457 MANUAL

WATER 89088118 32-359512 238 AMELON SQ PLZ 1.000 S 2n 12/23/2025  ON
Serial: 89088118 MANUAL

WATER 100933466 32-359513 244 AMELON SQ PLZ 1.000 s 5/8" 8/01/2025  ON
Serial: 100933466 MANUAL

WATER 100933469 32-359515 248 AMELON SQ PLZ 1.000 s 5/8" 8/01/2025  ON
Serial: 100933469 MANUAL

WATER 67412658 32-359999 155 AMELON SQUARE PLAZA 1.000 S 5/8" 2/15/2012  ON
Serial: 67412658 MANUAL

WATER 50231983 32-360000 4069 S AMHERST HWY 1.000 S 1 1/01/2000 1/31/2001  ON
Serial: 50231983 MANUAL 1/01/2000

WATER 71458523 32-360200 118 AMELON SQ PLAZA 1.000 S-P 1/01/2010 4/15/2010  ON
Serial: 71458523 MANUAL 1/01/2010

WATER 82386384 32-360400 310 AMELON SQ PLZ 1.000 S 5/8" 7/19/2017 ON
Serial: 82386384 MANUAL

WATER 90301718 32-360401 308 AMELON SQ 1.000 s 5/8" 4/22/2022  ON
Serial: 90301718 MANUAL

WATER 90301717 32-360402 306 AMELON SQ SHOPPING C 1.000 S 5/8" 4/22/2022  ON
Serial: 90301717 MANUAL

WATER 90301719 32-360403 304 AMELON SQ SHOPPING C 1.000 S 5/8" 4/22/2022  ON
Serial: 90301719 MANUAL

WATER 90301741 32-360404 302 AMELON SQ SHOPPING C 1.000 S 5/8" 4/22/2022  ON
Serial: 90301741 MANUAL

WATER 90301744 32-360405 300 AMELON SQ 1.000 S 5/8" 4/22/2022  ON
Serial: 90301744 MANUAL

WATER 67412708 32-361000 129 AMER CIR 1.000 S-P 5/8 1/01/2007 2/21/2007  ON
Serial: 67412708 MANUAL 1/01/2007

WATER 50042267 32-361100 132 AMER CIR 1.000 s-P 2n 1/01/1997 3/10/1997  ON
Serial: 50042267 MANUAL 1/01/1997

WATER 67412664 32-361200  AMER CIR 1.000 S-P 5/8 1/01/2007 2/21/2007  ON
Serial: 67412664 MANUAL 1/01/2007

WATER 56458586 32-361250 3985 S AMHERST HWY 1.000 s 1 1/01/2001 8/28/2001  ON
Serial: 56458586 MANUAL

WATER 66214236 32-361250 3985 S AMHERST HWY 1.000 S 1 1/01/2001 8/28/2001  ON
Serial: 66214236 MANUAL

WATER 67412663 32-361400 3975 S AMHERST HWY 1.000 S-P 5/8 1/01/2007 2/21/2007  ON
Serial: 67412663 MANUAL 1/01/2007

WATER 82386879 32-361700 3957 S AMHERST HWY 1.000 S 5/8" 9/09/2020  ON
Serial: 82386879 MANUAL

WATER 71063284 32-364000 118 COMMONWEALTH DR 1.000 S 1 11/18/2010  ON
Serial: 71063284 MANUAL

WATER 90301591 32-364001 148 A 32C COMMONWEALTH DR 1.000 s 5/8" 7/29/2024  OFF

Serial: 90301591 1.000 MANUAL





2/11/2026 12:39 PM METER REPORT PAGE : 18

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 32 - COM BK 1

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 67412659 32-364800 3789 S AMHERST HWY 1.000 S-P 5/8 1/01/2007 2/21/2007  ON
Serial: 67412659 MANUAL 1/01/2007

WATER 73987902 32-364820 121 HIGHVIEW DR 1.000 S 5/8" 1/03/2014 1/02/2014  ON
Serial: 73987902 MANUAL

WATER 96056760 32-365000 3761 S AMHERST HWY 1.000 S 3" 12/18/2023  ON
Serial: 96056760 MANUAL

WATER 89570855 32-365000 3761 S AMHERST HWY 1.000 s 5/8" 12/28/2023  ON
Serial: 89570855 MANUAL

WATER 67412660 32-365100 3769 S AMHERST HWY 1.000 S-P 1/01/2007 2/21/2007  OFF
Serial: 67412660 MANUAL 1/01/2007

WATER 83703282 32-365105 111 HIGHVIEW DR 1.000 s 5/8" 4/24/2023  ON
Serial: 83703282 MANUAL

WATER 83703283 32-365110  HIGHVIEW DR OFFICE 1.000 s 3" 2/09/2023  ON
Serial: 83703283 MANUAL

WATER 83703284 32-365115  HIGHVIEW DR SENIOR CNTR 1.000 s 1 2/09/2023  ON
Serial: 83703284 MANUAL

WATER 73681840 32-365200 401 DIXIE AIRPORT RD 1.000 S 5/8" 10/09/2013  ON
Serial: 73681840 MANUAL

WATER 75618673 32-378605 157 DIXIE AIRPORT RD 1.000 s 5/8" 4/27/2015  ON
Serial: 75618673 MANUAL

WATER 67412759 32-379100 3747 S AMHERST HWY 1.000 S-P 5/8 1/01/2007 2/22/2007  ON
Serial: 67412759 MANUAL 1/01/2007

WATER 82386465 32-379205 3721 S AMHERST HWY 1.000 s 5/8" 7/25/2017  ON
Serial: 82386465 MANUAL

WATER 82386815 32-379400 3713 S AMHERST HWY 1.000 S 5/8" 7/25/2017  ON
Serial: 82386815 MANUAL

WATER 67412662 32-379500 3685 S AMHERST HWY 1.000 S-P 5/8 1/01/2007 2/22/2007  ON
Serial: 67412662 MANUAL 1/01/2007

WATER 6741276B 32-379700 3688 S AMHERST HWY 1.000 S 5/8" 1/04/2013  ON

MANUAL

WATER 67412757 32-380000 3700 S AMHERST HWY 1.000 R-P 5/8 1/01/2007 2/23/2007  ON
Serial: 67412757 MANUAL 1/01/2007

WATER 67412756 32-380200 3712 S AMHERST HWY 1.000 S-P 5/8 1/01/2007 2/23/2007  ON
Serial: 67412756 MANUAL 1/01/2007

WATER 73681808 32-382600 119 ANN ST 1.000 s 5/8" 10/09/2013  ON
Serial: 73681808 MANUAL

WATER 90301742 32-382610 3730 S AMHERST HWY 1.000 S 5/8" 4/22/2022  ON
Serial: 90301742 MANUAL

WATER 67412758 32-382900 3748 S AMHERST HWY 1.000 S-P 5/8 1/01/2007 2/23/2007  ON
Serial: 67412758 MANUAL 1/01/2007

WATER 100933496 32-383000 3756 S AMHERST HWY 1.000 S-IPRL  5/8" 10/23/2025  ON
Serial: 100933496 MANUAL

WATER 68691785 32-383101 3768 S AMHERST HWY 1.000 R-P 5/8 1/01/2009 2/12/2009  ON
Serial: 68691785 MANUAL 1/01/2009

WATER 100933516 32-383200 3760 S AMHERST HWY 1.000 S-IPRL  5/8" 10/23/2025  ON
Serial: 100933516 MANUAL

WATER 68708202 32-390205 142 OAK GROVE CT 1.000 s 1 1/01/2009 2/12/2009  ON

Serial: 68708202 MANUAL 1/01/2009





2/11/2026 12:39 PM METER REPORT PAGE :
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 32 - COM BK 1
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 75618688 32-391200 3922 S AMHERST HWY 1.000 S 5/8" 10/27/2015  ON
Serial: 75618688 MANUAL
WATER 70171180 32-391405 3936 S AMHERST HWY 1.000 R-P 5/8 1/01/2009 9/23/2009  ON
Serial: 70171180 MANUAL 1/01/2009
WATER 71458522 32-391500 3938 S AMHERST HWY 1.000 S-P 5/8 1/01/2010 4/14/2010  ON
Serial: 71458522 MANUAL 1/01/2010
WATER 82387505 32-391800 3966 S AMHERST HWY 1.000 s 5/8" 7/24/2017  ON
Serial: 82387505 MANUAL
WATER 68708203 32-392000 125 CLEARVIEW RD 1.000 S 1 1/01/2009 2/12/2009  ON
Serial: 68708203 MANUAL 1/01/2009
WATER 66214245 32-396000 113 SUNSET CIR 1.000 S 1 1/01/2007 2/23/2007  ON
Serial: 66214245 MANUAL 1/01/2007
WATER 68708200 32-410900 236 WINESAP RD 1.000 s 1 1/01/2009 2/12/2009  ON
Serial: 68708200 MANUAL 1/01/2009
WATER 751618651 32-412619  OFF MT VIEW DR 1.000 s 5/8" 1/01/2016 3/18/2016  ON
Serial: 751618651 MANUAL
WATER 66214229 32-415000 45 EWERS LN 1.000 S-P 1 1/01/2006 3/13/2006  ON
Serial: 66214229 MANUAL 1/01/2006
WATER 66214241 32-415000 45 EWERS LN 1.000 S-P 1 1/01/2006 3/13/2006  ON
Serial: 66214241 MANUAL 1/01/2006
WATER 75618660 32-417705 568 WINESAP RD 1.000 S 5/8" 9/24/2015 9/24/2015  ON
Serial: 75618660 MANUAL
WATER 100933436 32-419350 481 WINESAP RD 1.000 S-IPRL  5/8" 11/24/2025  ON
Serial: 100933436 MANUAL
WATER 67412803 32-421060  ROBINHOOD PL - END O 1.000 R-P 5/8 1/01/2007 2/27/2007  ON
Serial: 67412803 MANUAL 1/01/2007
WATER 90301578 32-423600 215 FAIRFAX CIR APTS 1.000 s 5/8" 5/23/2022  ON
Serial: 90301578 MANUAL
WATER 82386814 32-428550 153 FORESTON MANOR DR 1.000 S 5/8" 7/26/2017  ON
Serial: 82386814 MANUAL
WATER 67412804 32-430200 163 & 165 WINESAP RD 1.000 S-P 5/8 1/01/2007 2/27/2007  ON
Serial: 67412804 MANUAL 1/01/2007
WATER 75914339 32-430600 3659 S AMHERST HWY 1.000 s Al 12/19/2019  ON
Serial: 75914339 MANUAL
WATER 93713491 32-430805 3631 S AMHERST HWY 1.000 s 1 5/21/2024  ON
Serial: 93713491 MANUAL
WATER 82386810 32-430810 3631 S AMHERST HWY 1.000 S 5/8" 7/25/2017  ON
Serial: 82386810 MANUAL
WATER 59430102 32-430825 1600 S COOLWELL RD 1.000 S-P 2" 11/23/2015 11/23/2015  ON
Serial: 59430102 MANUAL
WATER 100933472 32-441100 2059 S COOLWELL RD 1.000 S-IPRL  5/8" 8/20/2025  ON
Serial: 100933472 MANUAL
WATER 50231982 32-441150 1886 S COOLWELL RD 1.000 S-P 5/8 1/01/1996 2/02/1998  ON
Serial: 50231982 MANUAL 1/01/1996
WATER 67412806 32-441300 3597 S AMHERST HWY 1.000 S-P 1/01/2007 2/27/2007  ON
Serial: 67412806 MANUAL 1/01/2007
WATER 67412789 32-441400 3587 S AMHERST HWY 1.000 S-P 5/8 1/01/2007 2/27/2007  ON
Serial: 67412789 MANUAL 1/01/2007





2/11/2026 12:39 PM METER REPORT PAGE : 20

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 32 - COM BK 1

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 72853792 32-442900 3447 S AMHERST HWY 1.000 S 5/8" 3/28/2013  ON
Serial: 72853792 MANUAL

WATER 82386813 32-443800 3540 S AMHERST HWY 1.000 S 5/8" 7/25/2017  ON
Serial: 82386813 MANUAL

WATER 67412786 32-443900 3558 S AMHERST HWY 1.000 S-P 5/8 1/01/2007 2/27/2007  ON
Serial: 67412786 MANUAL 1/01/2007

WATER 67412788 32-443901 3570 S AMHERST HWY 1.000 S-P 5/8 1/01/2007 2/27/2007  ON
Serial: 67412788 MANUAL 1/01/2007

WATER 68692037 32-443905 3596 S AMHERST HWY 1.000 S-P 5/8 1/01/2008 1/23/2008  ON
Serial: 68692037 MANUAL 1/01/2008

WATER 87749439 32-444400 3642 S AMHERST HWY 1.000 s 11/2" 9/24/2025  ON
Serial: 87749439 MANUAL

WATER 93238869 32-444600 3620 S AMHERST HWY 1.000 S 1 4/04/2025  ON
Serial: 93238869 MANUAL

WATER 82386880 32-444700 3648 S AMHERST HWY 1.000 S 5/8" 7/25/2017  ON
Serial: 82386880 MANUAL

WATER 73987948 32-460900 3335 S AMHERST HWY 1.000 S 5/8" 10/22/2013  ON
Serial: 73987948 MANUAL

WATER 82386443 32-461100 3327 S AMHERST HWY 1.000 s 5/8" 7/26/2017  ON
Serial: 82386443 MANUAL

WATER 67641311 32-461341 154 ROTHWOOD RD 1.000 S-P 5/8" 1/01/2007 10/30/2007  ON
Serial: 67641311 MANUAL

WATER 51728977 32-461400 336 ROTHWOOD RD 1.000 IPERL 1 1/01/2016  ON
Serial: 51728977 TOUCH 1/01/1996

WATER 73681811 32-461450 518 & 520 ROTHWOOD RD 1.000 S 5/8" 8/28/2012  ON
Serial: 73681811 MANUAL

WATER 64642937 32-462500 115 BRUNER RD 1.000 S-P 5/8 1/01/2007 2/28/2007  ON
Serial: 64642937 MANUAL 1/01/2007

WATER 67412785 32-462600 165 MELODY LN 1.000 S-P 5/8" 1/01/2007 2/28/2007  ON
Serial: 67412785 MANUAL 1/01/2007

WATER 71031981 32-463425 589 S FIVE FORKS RD 1.000 S-P 5/8 1/01/2010 3/23/2010  OFF
Serial: 71031981 MANUAL 1/01/2010

WATER 68691786 32-465110 295 N FIVE FORKS RD 1.000 S-P 1/01/2009 2/12/2009  ON
Serial: 68691786 MANUAL 1/01/2009

WATER 66214244 32-468550 2231 S AMHERST HWY 1.000 S 1 1/01/2007 2/28/2007  ON
Serial: 66214244 MANUAL 1/01/2007

WATER 66214243 32-468900 2155 S AMHERST HWY 1.000 s 1 1/01/2008 8/07/2008  ON
Serial: 66214243 MANUAL

WATER 93713493 32-470000 320 SPROUSE DR 1.000 S 1 2/29/2024  ON
Serial: 93713493 MANUAL

WATER 63056577 32-470790  AUBREY LN 1.000 S-P 5/8" 1/01/2006 7/10/2006  ON
Serial: 63056577 MANUAL

WATER 59295693 32-470800 2101 S AMHERST HWY 1.000 R-P 1/01/2002 6/14/2003  ON
Serial: 59295693 MANUAL 1/01/2002

WATER 63056529 32-470805 2091 S AMHERST HWY 1.000 S-P 5/8 1/01/2005 10/24/2005 ON
Serial: 63056529 MANUAL

WATER 63056417 32-471000 2079 S AMHERST HWY 1.000 S-P 5/8 1/01/2006 6/24/2005  ON

Serial: 63056417 MANUAL 1/01/2006





2/11/2026 12:39 PM METER REPORT PAGE : 21

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 32 - COM BK 1

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 96689082 32-472000 2041 S AMHERST HWY 1.000 S 5/8" 3/25/2025  ON
Serial: 96689082 MANUAL

WATER 73681733 32-472500 115 SPROUSE DR 1.000 S 5/8" 8/16/2012  ON
Serial: 73681733 MANUAL

WATER 82386625 32-472900 1953 S AMHERST HWY 1.000 S 5/8" 7/25/2017  ON
Serial: 82386625 MANUAL

WATER 86011940 32-473000 113 FALCON CREST LN 1.000 s 5/8" 2/25/2019  ON
Serial: 86011940 MANUAL

WATER 58881010 32-473600 1873 S AMHERST HWY 1.000 s-P A 1/01/2002 2/01/2002  ON
Serial: 58881010 MANUAL 1/01/2002

WATER 60188157 32-473601 IZAAK WALTON RD - PA 1.000 S 1 1/01/2003 4/16/2003  ON
Serial: 60188157 MANUAL

WATER 71458470 32-473602  IZAAK WALTON RD - PA 1.000 S 5/8" 10/06/2011  ON
Serial: 71458470 MANUAL

WATER 61088183 32-473603  COOLWELL RD 1.000 S-P 1 1/01/2003 3/29/2004  ON
Serial: 61088183 MANUAL 1/01/2003

WATER 66510703 32-473604 105 SAWLOG LN 1.000 S-P 5/8" 1/01/2007 2/05/2007  OFF
Serial: 66510703 MANUAL

WATER 82386624 32-473605 1823 S AMHERST HWY 1.000 s 5/8" 7/25/2017  ON
Serial: 82386624 MANUAL

WATER 67412763 32-473700 188 FAULCONERVILLE DR 1.000 S 1 1/01/2007 3/01/2007  ON
Serial: 67412763 MANUAL 1/01/2007

WATER 67412765 32-474005 167 FAULCONERVILLE DR 1.000 S-P 5/8 1/01/2007 3/01/2007  OFF
Serial: 67412765 MANUAL 1/01/2007

WATER 75618671 32-474010 168 FAULCONERVILLE DR 1.000 S 5/8" 4/27/2015  ON
Serial: 75618671 MANUAL

WATER 82386467 32-474800 131 FAULCONERVILLE DR 1.000 s 5/8" 7/25/2017  ON
Serial: 82386467 MANUAL

WATER 78227862 32-479900 1073 FATHER JUDGE RD 1.000 S 5/8" 1/08/2019  ON
Serial: 78227862 MANUAL

WATER 54578804 32-483505 275 FRANCIS AVE 1.000 IPERL 1 3/01/2015 3/21/2015 ON
Serial: 54578804 TOUCH 3/01/2000

WATER 80012775 32-483600 275 FRANCIS AVE 1.000 s 1 11/19/2015  ON
Serial: 80012775 MANUAL

WATER 68708209 32-483920 161 MONROE ST 1.000 s 1 1/01/2009 9/23/2009  ON
Serial: 68708209 MANUAL 1/01/2009

WATER 76782695 32-485500 129 FRANCIS AVE 1.000 S 5/8" 7/24/2017  ON
Serial: 76782695 MANUAL

WATER 73987810 32-487620 3092 S AMHERST HWY 1.000 s 5/8" 7/25/2012  ON
Serial: 73987810 MANUAL

WATER 73987813 32-487621 3106 S AMHERST HWY 1.000 S 5/8" 7/25/2012  ON
Serial: 73987813 MANUAL

WATER 70171318 32-487650 3266 S AMHERST HWY 1.000 R-P 5/8 1/01/2009 9/23/2009  ON
Serial: 70171318 MANUAL 1/01/2009

WATER 73987808 32-499650 268 WOODROW AVE 1.000 s 5/8" 7/26/2012  ON
Serial: 73987808 MANUAL

WATER 67641255 32-499700 284 WOODROW AVE 1.000 S-P 5/8 1/01/2007 10/31/2007  ON

Serial: 67641255 MANUAL 1/01/2007





2/11/2026 12:39 PM METER REPORT PAGE : 22

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 32 - COM BK 1

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 82386463 32-501000 3362 S AMHERST HWY 1.000 S 5/8" 7/25/2017  OFF
Serial: 82386463 1.000 MANUAL

WATER 82386462 32-501100 3378 S AMHERST HWY 1.000 s 5/8" 7/25/2017  ON
Serial: 82386462 MANUAL

WATER 80002969 32-502100 132 HUGHES DR APTS 1.000 s 5/8" 2/17/2017  ON
Serial: 80002969 MANUAL

WATER 86011788 32-502200 140 HUGHES DR APTS 1.000 S 5/8" 8/06/2019  ON
Serial: 86011788 MANUAL

WATER 56458030 32-502300 148 HUGHES DR APTS 1.000 R-P 1/01/2001 9/08/2001 ON
Serial: 56458030 MANUAL 1/01/2001

WATER 90301807 32-502900 153 HUGHES DR & 155 1.000 s 5/8" 4/22/2022  ON
Serial: 90301807 MANUAL

WATER 82386464 32-504000 143 HUGHES DR 1.000 S 5/8" 7/25/2017  ON
Serial: 82386464 MANUAL

WATER 71063273 32-504200 127 HUGHES DR 1.000 S 5/8" 8/16/2012  ON
Serial: 71063273 MANUAL

WATER 73987899 32-504500 115 HUGHES DR 1.000 S 5/8" 10/24/2013  ON
Serial: 73987899 MANUAL

WATER 87749443 32-782001 200 SAN ANGELO DR 1.000 S 11/2" 10/13/2020 10/13/2020  ON
Serial: 87749443 MANUAL

WATER 89098114 32-782003 134 SAN ANGELO DR 1.000 s 5/8" 10/06/2020  ON
Serial: 89098114 MANUAL

WATER 61088169 32-783000 1048 OLD STAGE RD 1.000 s 1 1/01/2003 4/03/2003  ON
Serial: 61088169 MANUAL

WATER 74098002 32-804000 129 TAVERN LN 1.000 S 5/8" 4/21/2020  ON
Serial: 74098002 MANUAL

WATER 60287215 32-804049 380 LONDON LN 1.000 s 1 1/01/2002 1/09/2003  ON
Serial: 60287215 MANUAL

WATER 80003487 32-804051 T6 GOLF COURSE 1.000 S 5/8" 2/20/2019 3/20/2019  ON
Serial: 80003487 MANUAL

WATER 82386811 32-804053  T15 GOLF COURSE 1.000 s 5/8" 3/04/2019 2/21/2019  ON
Serial: 82386811 MANUAL

WATER 67246243 32-804526 156 EBENEZER RD 1.000 s-C 1 1/01/2007 7/05/2007  ON
Serial: 67246243 MANUAL

WATER 67246242 32-804527 156 EBENEZER LN 1.000 S-C 1 1/01/2007 0/00/2000  ON
Serial: 67246242 MANUAL

WATER 61088159 32-809467 340 EBENEZER RD 1.000 s 1 1/01/2004 9/30/2004  ON

Serial: 61088159 MANUAL





2/11/2026 12:39 PM

DT PURCHSED: 0/00/0000 TO 99/99/9999
DT INSTALL: 1/01/1900 TO 2/11/2026
DT REPAIR: (0/00/0000 TO 99/99/9999
DT TESTED: 0/00/0000 TO 99/99/9999

METER

AGE OF METERS BASED ON PURCHASE DATE

7 TO 10
YEARS OLD

REPORT

11 TO 15
YEARS OLD

PAGE : 23
SEQ :ACCOUNT
SIZE :All Sizes
MAKE :All Makes

O O O O O U O O O O O O

AGE OF METERS BASED ON PURCHASE DATE

7 TO 10
YEARS OLD

N O O O O U1 O O O r O O

11 TO 15
YEARS OLD

1 TO 3 4 TO 6
MAKE YEARS OLD YEARS OLD
METER GROUP: WATER
0 0
-P 0 0
IPERL 0 0
R-C 0 0
R-P 0 0
R-T 0 0
S 0 2
S- 0 0
s-C 0 0
S-C2 0 0
S-IPRL 1 0
S-P 0 0
GROUP TOTAL 1 2
METER GROUP: SEWER
0 0
GROUP TOTAL 0 0
*TOTALS* 1 2
1 TO 3 4 TO 6
SIZE YEARS OLD YEARS OLD
METER GROUP: WATER
0 0
1 0 0
11/2" 0 1
2" 0 0
3" 0 0
3/4" 0 0
5/8 0 0
5/8" 1 1
GROUP TOTAL 1 2
METER GROUP: SEWER
0 0
GROUP TOTAL 0 0

U O O O O O o o

U O O O N O~ O

16 TO 20 OVER 20 UNKNOWN
YEARS OLD YEARS OLD YEARS OLD
0 0 1

1 0 0

1 0 4

1 0 0

35 17 1

0 0 1

25 21 256

0 0 1

3 0 0

0 0 2

0 0 25

61 37 4

127 75 295

0 0 2

0 0 2

127 75 297

16 TO 20 OVER 20 UNKNOWN
YEARS OLD YEARS OLD YEARS OLD
12 13 1

38 29 31

0 2 6

2 14 8

1 0 5

0 0 4

68 17 2

6 0 238

127 75 295

0 0 2

0 0 2





2/11/2026 12:39 PM METER REPORT
DT PURCHSED: 0/00/0000 TO 99/99/9999

DT INSTALL: 1/01/1900 TO 2/11/2026

DT REPAIR: (0/00/0000 TO 99/99/9999

DT TESTED: 0/00/0000 TO 99/99/9999

AGE OF METERS BASED ON PURCHASE DATE

PAGE : 24
SEQ :ACCOUNT

SIZE :All Sizes
MAKE :All Makes

1 TO 3 4 TO 6 7 TO 10 11 TO 15 16 TO 20
SIZE YEARS OLD YEARS OLD YEARS OLD YEARS OLD YEARS OLD
*TOTALS* 1 2 5 8 127

OVER 20 UNKNOWN
YEARS OLD YEARS OLD

75 297





2/11/2026 12:39 PM
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ

METER REPORT PAGE : 25

:ACCOUNT

DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999

AGE OF METERS BASED ON INSTALL DATE
1 TO 3 4 TO 6 7 TO 10 11 TO 15 16 TO 20 OVER 20 UNKNOWN
MAKE YEARS OLD YEARS OLD YEARS OLD YEARS OLD YEARS OLD YEARS OLD YEARS OLD
METER GROUP: WATER
0 0 0 0 0 1 0
-P 0 0 0 0 1 0 0
IPERL 2 0 1 2 1 0 0
R-C 0 0 0 0 1 0 0
R-P 0 0 0 0 35 18 0
R-T 0 0 0 0 0 1 0
S 36 39 102 86 30 21 0
S- 0 0 0 0 0 1 0
5-C 0 0 0 0 2 1 0
S-C2 0 0 0 2 0 0 0
S-IPRL 26 0 0 0 0 0 0
S-P 2 1 0 8 56 37 0
GROUP TOTAL 66 40 103 98 126 80 0
METER GROUP: SEWER
0 0 0 0 2 0 0
GROUP TOTAL 0 0 0 0 2 0 0
*TOTALS* 66 40 103 98 128 80 0
AGE OF METERS BASED ON INSTALL DATE
1 TO 3 4 TO 6 7 TO 10 11 TO 15 16 TO 20 OVER 20 UNKNOWN
SIZE YEARS OLD YEARS OLD YEARS OLD YEARS OLD YEARS OLD YEARS OLD YEARS OLD
METER GROUP: WATER
0 0 0 0 10 16 0
1 5 0 4 20 39 31 0
11/2" 2 3 0 2 0 2 0
2" 5 1 1 4 2 13 0
3" 5 0 0 0 1 0 0
3/4" 4 0 0 0 0 0 0
5/8 1 1 0 2 65 18 0
5/8" 44 35 98 70 9 0 0
GROUP TOTAL 66 40 103 98 126 80 0
METER GROUP: SEWER
0 0 0 0 2 0 0
GROUP TOTAL 0 0 0 0 2 0 0





2/11/2026 12:39 PM

DT PURCHSED: 0/00/0000 TO 99/99/9999
DT INSTALL: 1/01/1900 TO 2/11/2026
DT REPAIR: (0/00/0000 TO 99/99/9999
DT TESTED: 0/00/0000 TO 99/99/9999

METER REPORT

PAGE : 26
SEQ :ACCOUNT

SIZE :All Sizes
MAKE :All Makes

AGE OF METERS BASED ON INSTALL DATE

UNKNOWN
YEARS OLD

1 TO 3
SIZE YEARS OLD
*TOTALS* 66

4 TO 6 7 TO 10 11 TO 15 16 TO 20 OVER 20
YEARS OLD YEARS OLD YEARS OLD YEARS OLD YEARS OLD
40 103 98 128 80

METER GROUP
WATER

SEWER

TOTAL

ASSIGNED & UNASSIGNED TOTALS
ASSIGNED METERS
STAT ON STAT OFF UNASSIGNED METERS TOTAL

465 48 0 513
2 0 0 2
467 48 0 515





2/11/2026 12:39 PM

METER REPORT

SELECTION CRITERIA

PAGE

27

METER SELECTION

ZONE :

BOOK:

COMMENT CODES:
GROUP:

TYPE:

MAKE :

SIZE:
ASSIGNMENT :

03 - COMMERCIAL
* - All Books
All

* - All

* - All

* - All Makes

* - All Sizes
BOTH

DATE SELECTION

PURCHASED: 00/00/0000 THROUGH 99/99/9999
INSTALLED: 01/01/1900 THROUGH 02/11/2026
REPAIRED: 00/00/0000 THROUGH 99/99/9999
TESTED: 00/00/0000 THROUGH 99/99/9999

PRINT OPTIONS

TOTALS ONLY:
EXCEPTIONS:

NO
NONE

CUSTOMER CLASS TOTALS: NO

PRINT NOTE/SERIAL:
SEQUENCE :
COMMENT CODE:

Serial

Account Number

*** END OF REPORT ***






Operating FY27

						FY'26

		OPERATING REVENUES						FY26 Approved														FY 27 Approved 

		MAJOR
ACCT#
-----		DESCRIPTION
-----------				BUDGET AMOUNT
------		January     CURRENT   AMOUNT
------		February     CURRENT   AMOUNT
------		Y-T-D AMOUNT
------		YTD %		YTD TARGET %		year end estimate

		16000		** INCOME FROM SERVICES **

		1651		SERVICE CHARGE - WATER				$   3,834,926.22		$   320,359.39		$   372,238.42		$   2,915,059.35		76%		67%		$   4,195,678.00		$   4,372,589.03

		1652		PENALTIES				$   100,000.00		$   27,682.37		$   26,649.29		$   175,222.95		175%		67%		$   185,000.00		$   185,000.00

		1653		MISCELLANEOUS		returned check, deposits, unapplied credit		$   25,000.00		$   (23,085.37)		$   (30,661.77)		$   (175,693.37)		-703%		67%		$   (263,540.06)		$   (263,540.06)

		1654		SERVICE CHARGE		SEWAGE		$   1,166,586.95		$   59,619.23		$   130,367.27		$   912,262.58		78%		67%		$   1,258,568.00		$   1,368,393.87

		1655		MISCELLANEOUS		SEWER		$   21,895.00								0%		67%		$   - 0		$   - 0

		** INCOME FROM SERVICES **						$   5,148,408.18		$   384,575.62		$   498,593.21		$   3,826,851.51		74%		67%		$   5,375,705.95		$   5,662,442.84

		15010		** INVESTMENTS **

		1501		INTEREST - INVESTMENT ACCOUNTS				$   240,000.00		$   65,725.15		$   42,551.27		$   208,573.11		87%		67%		$   300,000.00		$   240,000.00

				** INVESTMENTS **				$   240,000.00		$   65,725.15		$   42,551.27		$   208,573.11		87%		67%		$   300,000.00		$   240,000.00

		16000		Non-Operating

		1818		INSUFFICIENT FUNDS (RETURNED CHECK)				$   - 0		$   (995.18)				$   (995.18)		ERROR:#DIV/0!		67%		$   (1,492.77)		$   (5,000.00)

		1819		CONVENIENCE FEE				$   - 0				$   - 0		$   (995.18)		ERROR:#DIV/0!		67%		$   (1,492.77)		$   (5,000.00)

		15020																67%		$   - 0

		1507		ANTENNA SITE RENTAL(S/L CONSTR RES)				$   33,436.00		$   2,842.22				$   19,895.54		60%		67%		$   29,843.31		$   50,104.00

				** MISCELLENEOUS **				$   33,436.00		$   1,847.04		$   - 0		$   19,895.54		60%		67%		$   29,843.31		$   50,104.00

																				$   - 0

				---REVENUE TOTAL---				$   5,421,844.18		$   452,147.81		$   541,144.48		$   4,054,324.98		75%		67%		$   5,704,056.49		$   5,947,546.84



		OPERATING EXPENSES

		MAJOR
ACCT#		DESCRIPTION
-----------				BUDGET AMOUNT
------		CURRENT AMOUNT
------				Y-T-D AMOUNT
------

				** PLANT & EQUIPMENT IN SERVICE **

		81204

		8207		GENERAL PLANT				$   40,000.00		$   - 0		0		$   11,673.00		29%		67%		$   36,000.00		$   40,000.00

		8208		OFFICE EQUIPMENT				$   3,280.00		$   - 0		0		$   266.02		8%		67%		$   399.03		$   411.00

		8211		MACHINERY & TOOLS				$   2,760.00		$   - 0		0		$   5,100.00		185%		67%		$   7,650.00		$   7,879.50

		8212		LABORATORY EQUIPMENT				$   2,750.00		$   - 0		0				0%		67%		$   2,750.00		$   2,832.50

		8213		POWER EQUIPMENT				$   1,930.00		$   - 0		$   1,116.10		$   5,357.04		278%		67%		$   8,035.56		$   8,276.63

				** PLANT & EQUIPMENT IN SERVICE **				$   50,720.00		$   - 0		$   1,116.10		$   22,396.06		44%		67%		$   54,834.59		$   59,399.63

		81207		** INVENTORY **

		6040		INVENTORY - MATERIAL & SUPPLIES				$   30,000.00		$   20,318.54		$   3,166.49		$   52,980.15		177%		67%		$   79,470.23		$   81,854.33

				** INVENTORY **				$   30,000.00		$   20,318.54		$   3,166.49		$   52,980.15		177%		67%		$   79,470.23		$   81,854.33

		81208		** SOURCE OF SUPPLY EXPENSES **

		1001		SALARIES & WAGES - FULL-TIME				$   42,726.40		$   - 0				$   - 0		0%		67%		$   - 0		$   49,582.39

		3004		REPAIRS & MAINTENANCE				$   6,960.00		$   - 0		0		$   - 0		0%		67%		$   - 0		$   6,960.00

		3013		PROFESSIONAL SERVICES				$   19,500.00		$   3,843.75		0		$   3,843.75		20%		67%		$   20,000.00		$   20,600.00

		3060		ROAD MAINTENANCE				$   3,280.00		$   - 0		400		$   400.00		12%		67%		$   600.00		$   3,000.00

		3061		HARRIS CREEK, GAGE O & M				$   16,450.00		$   - 0		0		$   9,245.00		56%		67%		$   13,867.50		$   16,450.00

		5101		ELECTRICAL SERVICES				$   3,280.00		$   48.57		89.01		$   2,110.52		64%		67%		$   3,165.78		$   3,260.75

		6040		MATERIALS & SUPPLIES				$   5,200.00		$   - 0		0		$   410.00		8%		67%		$   615.00		$   5,200.00

		6050		WATER WHOLESALE				$   13,240.00		$   275.60		445.2		$   6,073.80		46%		67%		$   9,110.70		$   13,240.00

				** SOURCE OF SUPPLY EXPENSES **				$   110,636.40		$   4,167.92		$   934.21		$   22,083.07		20%		67%		$   47,358.98		$   118,293.14

		81209		** WATER TREATMENT EXPENSES **

		1001		SALARIES & WAGES - FULL-TIME				$   465,591.39		$   34,666.05				$   34,666.05		7%		67%		$   51,999.08		$   540,301.35

		3004		REPAIRS & MAINTENANCE				$   76,430.00		$   1,149.75		$   4,616.03		$   20,034.48		26%		67%		$   30,051.72		$   30,953.27

		3062		HEAT SYSTEM MAINT. CONTRACT				$   3,000.00		$   - 0						0%		67%		$   - 0		$   3,000.00

		3063		GENERATOR SERVICE CONTRACT				$   2,000.00		$   - 0						0%		67%		$   - 0		$   2,000.00

		3064		INSTRUMENT SERVICE CONTRACTS				$   20,000.00		$   3,205.00		$   20.00		$   9,753.50		49%		67%		$   14,630.25		$   15,069.16

		3065		WATER TREATMENT - O & M						$   - 0						ERROR:#DIV/0!		67%		$   - 0		$   - 0

		5101		ELECTRICAL SERVICES				$   160,000.00		$   12,309.95		$   12,134.97		$   96,434.38		60%		67%		$   144,651.57		$   148,991.12

		5102		HEATING OIL & NATURAL GAS				$   19,200.00		$   - 0		$   - 0		$   90.00		0%		67%		$   135.00		$   139.05

		5203		TELECOMMUNICATION				$   6,560.00		$   349.54		$   349.21		$   3,937.21		60%		67%		$   5,905.82		$   6,082.99

		5828		VA WATERWORK OP FEE				$   25,000.00		$   - 0		$   - 0		$   20,655.00		83%		67%		$   30,982.50		$   31,911.98

		6040		MATERIALS & SUPPLIES				$   9,590.00		$   1,941.23		$   516.77		$   9,715.69		101%		67%		$   14,573.54		$   15,010.74

		6051		CHEMICALS				$   135,000.00		$   11,730.88		$   8,174.50		$   77,076.64		57%		67%		$   115,614.96		$   119,083.41

		6052		LAB SUPPLIES				$   14,420.00		$   609.61		$   592.23		$   10,033.89		70%		67%		$   15,050.84		$   15,502.36

				** WATER TREATMENT EXPENSES **				$   936,791.39		$   65,962.01		$   26,403.71		$   282,396.84		30%		67%		$   423,595.26		$   928,045.42

		81210		** TRANS & DISTRIB EXPENSES **

		1001		SALARIES & WAGES - FULL-TIME				$   292,432.80		$   45,512.48				$   45,512.48		16%		67%		$   68,268.72		$   339,357.30

		3004		REPAIRS & MAINTENANCE				$   40,480.00		$   - 0		$   614.08		$   75,668.85		187%		67%		$   113,503.28		$   116,908.37

		3013		PROFESSIONAL SERVICES				$   15,000.00		$   268.11		$   180.00		$   5,348.10		36%		67%		$   8,022.15		$   8,262.81

		3066		TANK MAINTENANCE				$   85,980.00		$   - 0		$   - 0		$   23,300.00		27%		67%		$   34,950.00		$   35,998.50

		5101		ELECTRICITY				$   10,000.00		$   821.31		$   844.53		$   6,094.34		61%		67%		$   9,141.51		$   9,415.76

		5203		TELECOMMUNICATION				$   5,240.00		$   85.21		$   85.21		$   2,995.53		57%		67%		$   4,493.30		$   4,628.09

		5821		MISS-UTILITY FEES				$   6,000.00		$   231.60		$   230.40		$   2,118.90		35%		67%		$   3,178.35		$   3,273.70

		5825		HIGHWAY PERMITS				$   4,240.00		$   - 0				$   - 0		0%		67%		$   - 0		$   4,240.00

		5829		LAB FEES				$   33,450.00		$   68.00		$   1,749.52		$   3,848.04		12%		67%		$   5,772.06		$   5,945.22

		6040		MATERIALS & SUPPLIES				$   43,650.00		$   3,253.15		$   442.81		$   8,562.78		20%		67%		$   12,844.17		$   13,229.50

				** TRANS & DISTRIB EXPENSES **				$   536,472.80		$   50,239.86		$   4,146.55		$   173,449.02		32%		67%		$   260,173.53		$   541,259.25

		81211		** SEWER LINES EXPENSES **

		1001		SALARIES & WAGES - FULL-TIME				$   40,031.86		$   - 0				$   - 0		0%		67%		$   - 0		$   46,455.47

		3004		REPAIRS & MAINTENANCE				$   7,100.00		$   - 0				$   - 0		0%		67%		$   7,100.00		$   7,313.00

		3013		PROFESSIONAL SERVICES				$   6,550.00		$   - 0				$   - 0		0%		67%		$   6,550.00		$   6,746.50

		6040		MATERIALS & SUPPLIES				$   14,000.00		$   - 0				$   - 0		0%		67%		$   14,000.00		$   14,420.00

				** SEWER LINES EXPENSES **				$   67,681.86		$   - 0				$   - 0		0%		67%		$   27,650.00		$   28,479.50

		81212		** SEWAGE PUMPING EXPENSES **

		1001		SALARIES & WAGES - FULL-TIME				$   36,131.92		$   1,152.87				$   1,152.87		3%		67%		$   1,729.30		$   41,929.74

		3004		REPAIRS & MAINTENANCE				$   72,000.00		$   - 0		$   642.52		$   642.52		1%		67%		$   963.78		$   992.69

		3013		PROFESSIONAL SERVICES				$   15,000.00		$   - 0				$   - 0		0%		67%		$   - 0		$   15,000.00

		5101		ELECTRICAL SERVICES				$   20,400.00		$   1,931.99		$   2,231.16		$   12,473.14		61%		67%		$   18,709.71		$   19,271.00

		5203		TELECOMMUNICATIONS				$   7,200.00		$   - 0				$   3,684.71		51%		67%		$   5,527.07		$   5,692.88

		6040		MATERIALS & SUPPLIES				$   2,850.00		$   39.98				$   2,998.04		105%		67%		$   4,497.06		$   4,631.97

				** SEWAGE PUMPING EXPENSES **				$   153,581.92		$   3,124.84		$   2,873.68		$   20,951.28		14%		67%		$   86,726.92		$   190,932.75

		81213		** SEWAGE TREATMENT EXPENSES **

		1001		SALARIES & WAGES - FULL-TIME				$   49,596.75		$   1,323.10				$   1,323.10		3%		67%		$   1,984.65		$   57,555.16

		3004		REPAIRS & MAINTENANCE				$   5,000.00		$   - 0				$   - 0		0%		67%		$   5,000.00		$   5,150.00

		3013		PROFESSIONAL SERVICES				$   8,990.00		$   - 0				$   - 0		0%		67%		$   8,900.00		$   9,167.00

		3015		CONTRACT SERVICES				$   300,000.00		$   32,000.00		32000		$   224,000.00		75%		67%		$   336,000.00		$   346,080.00

		3067		GRIT DISPOSAL				$   680.00		$   51.11		65.63		$   208.99		31%		67%		$   313.49		$   322.89

		3068		SLUDGE REMOVAL				$   890.00		$   - 0				$   - 0		0%		67%		$   890.00		$   916.70

		5101		ELECTRICITY				$   14,000.00		$   1,249.08		1184.97		$   7,861.01		56%		67%		$   11,791.52		$   14,000.00

		5827		PERMIT FEES				$   6,000.00		$   - 0		0		$   5,638.00		94%		67%		$   8,457.00		$   8,710.71

		5829		LAB FEES				$   5,090.00		$   646.50		0		$   4,026.40		79%		67%		$   6,039.60		$   6,220.79

		6040		MATERIALS & SUPPLIES				$   5,700.00		$   - 0		0		$   - 0		0%		67%		$   5,700.00		$   5,871.00

		6051		CHEMICALS				$   17,960.00		$   - 0		0		$   729.52		4%		67%		$   17,960.00		$   18,498.80

		6052		LABORATORY SUPPLIES				$   12,000.00		$   849.93				$   2,480.25		21%		67%		$   12,000.00		$   12,360.00

				** SEWAGE TREATMENT EXPENSES **				$   425,906.75		$   36,119.72		$   33,250.60		$   246,267.27		58%		67%		$   415,036.25		$   484,853.05

		81220		** CUSTOMER ACCOUNT & COLLECTION **

		1001		SALARIES & WAGES - FULL-TIME				$   243,477.69		$   19,797.67		$   19,797.67		$   162,977.64		67%		67%		$   244,466.46		$   282,546.72

		1008		METER READING WAGES				$   55,728.00		$   - 0				$   - 0		0%		67%		$   - 0		$   - 0

		3008		SOFTWARE MAINTENANCE CONTRACTS				$   20,000.00		$   4,664.46		$   - 0		$   6,140.46		31%		67%		$   9,210.69		$   9,487.01

		3015		CONTRACT SERVICES				$   11,000.00		$   480.00		$   308.20		$   2,104.82		19%		67%		$   3,157.23		$   3,251.95

		3041		COMPUTER & SOFTWARE SUPPORT				$   15,720.00		$   1,395.39		$   2,898.44		$   21,211.17		135%		67%		$   31,816.75		$   32,771.26

		3069		OFFICE O & M				$   1,600.00		$   - 0		$   44.00		$   520.49		33%		67%		$   780.74		$   804.16

		5101		ELECTRICAL SERVICES				$   5,000.00		$   498.96		$   560.79		$   2,714.66		54%		67%		$   4,071.99		$   4,194.15

		5201		POSTAL SERVICES				$   21,790.00		$   35.85		$   60.09		$   12,193.67		56%		67%		$   18,290.51		$   18,839.22

		5203		TELECOMMUNICATIONS				$   9,000.00		$   1,973.16		$   564.80		$   7,434.89		83%		67%		$   11,152.34		$   11,486.91

		5420		CLAIMS & REFUNDS - WATER						$   2,471.11		$   1,700.94		$   14,836.62		ERROR:#DIV/0!		67%		$   22,254.93		$   22,922.58

		5871		CREDIT CARD PROCESSING EXPENSES				$   50,000.00		$   5,556.25		$   - 0		$   11,008.80		22%		67%		$   16,513.20		$   17,008.60

		6001		OFFICE SUPPLIES				$   16,280.00		$   5,520.93		$   1,688.58		$   16,329.46		100%		67%		$   24,494.19		$   25,229.02

		8010		EQUIPMENT AND SOFTWARE				$   6,800.00		$   - 0		$   539.37		$   3,364.75		49%		67%		$   5,047.13		$   5,198.54

				** CUSTOMER ACCOUNT & COLLECTION **				$   456,395.69		$   42,393.78		$   28,162.88		$   260,837.43		57%		67%		$   391,256.15		$   433,740.10

		81230		** ADMIN & GENERAL EXPENSES **

		1001		SALARIES & WAGES - FULL-TIME				$   391,464.00		$   33,078.17		33178.17		$   265,575.70		68%		67%		$   398,363.55		$   454,279.30

		2001		FICA - EMPLOYER				$   110,000.00		$   9,332.85		9443.45		$   27,923.42		25%		67%		$   41,885.13		$   43,141.68

		2002		VSRS(RETIREMENT)EMPLOYER SHARE				$   100,000.00		$   13,051.32		12694.2		$   100,692.23		101%		67%		$   151,038.35		$   155,569.50

		2005		HOSPITAL/MEDICAL PLAN				$   250,800.00		$   21,804.96		20080.16		$   170,905.60		68%		67%		$   256,358.40		$   274,303.49

		2006		GROUP LIFE (VRS)				$   22,752.79		$   1,483.53		1479.63		$   11,677.78		51%		67%		$   17,516.67		$   18,042.17

		2010		WORKMEN'S COMPENSATION				$   45,000.00								0%		67%		$   45,000.00		$   46,350.00

		2014		EMPLOYEE ASSISTANCE PROGRAM				$   1,240.00								0%		67%		$   1,240.00		$   1,277.20

		2017		VRS- HEALTH INS CREDIT				$   5,982.00		$   125.71		125.38		$   992.78		17%		67%		$   1,489.17		$   1,533.85

		2018		SHORT LONG TERM DISABILITY-STANDARD				$   1,696.00		$   342.66		340.92		$   6,060.02		357%		67%		$   9,090.03		$   9,362.73

		3002		AUDITING SERVICES				$   32,000.00		$   - 0				$   8,000.00		25%		67%		$   12,000.00		$   12,360.00

		3007		ADVERTISING				$   2,500.00		$   69.90				$   69.90		3%		67%		$   104.85		$   108.00

		3013		PROFESSIONAL FEES				$   5,000.00								0%		67%		$   5,000.00		$   5,150.00

		3014		AEP RATE NEGOTIATION SERVICES				$   1,500.00		$   - 0				$   - 0		0%		67%		$   1,500.00		$   1,545.00

		3023		VEHICULAR REPAIRS AND OVERHAUL				$   50,000.00		$   2,975.17		366.38		$   18,998.69		38%		67%		$   28,498.03		$   29,352.98

		3024		REPAIRS FURNITURE & EQUIP				$   620.00		$   - 0				$   69.00		11%		67%		$   103.50		$   106.61

		3070		FISCAL AGENT SERVICES				$   24,920.00						$   27,690.00		111%		67%		$   41,535.00		$   42,781.05

		3071		COMPUTER & COUNTY SERVICES				$   18,100.00						$   4,800.00		27%		67%		$   7,200.00		$   7,416.00

		3072		ADMIN-FEE FOR PAYROLL DIR DEPOSIT				$   1,000.00						$   - 0		0%		67%		$   1,000.00		$   1,030.00

		5304		BOILER & MACHINERY INSURANCE				$   2,000.00						$   - 0		0%		67%		$   2,000.00		$   2,060.00

		5305		INLAND MARINE INSURANCE				$   2,000.00		$   - 0				$   - 0		0%		67%		$   2,000.00		$   2,060.00

		5307		PUBLIC OFFICIAL LIABILITY INSURANCE				$   5,000.00		$   - 0				$   - 0		0%		67%		$   5,000.00		$   5,150.00

		5308		LIABILITY INSURANCE - AUTOMOBILE				$   15,000.00		$   - 0				$   - 0		0%		67%		$   15,000.00		$   15,450.00

		5310		PROPERTY INSURANCE				$   20,000.00		$   - 0				$   - 0		0%		67%		$   20,000.00		$   20,600.00

		5312		PUBLCI OFFICIALS LIABILITY INS				$   2,000.00		$   - 0				$   - 0		0%		67%		$   2,000.00		$   2,060.00

		5414		O&M SUPPORT				$   2,530.00		$   - 0				$   20.00		1%		67%		$   30.00		$   30.90

		5504		TRAVEL - EDUCATION						$   542.01		4458.3		$   6,372.57		ERROR:#DIV/0!		67%		$   9,558.86		$   9,845.62

		5605		EXCISE TAX-AFFORDABLE HEALTH CARE				$   460.00		$   - 0				$   - 0		0%		67%		$   460.00		$   473.80

		5801		DUES & MEMBERSHIPS				$   8,940.00		$   1,200.00				$   7,136.00		80%		67%		$   10,704.00		$   11,025.12

		5896		LICENSE FEES				$   3,000.00		$   - 0		80		$   80.00		3%		67%		$   120.00		$   123.60

		6001		OFFICE SUPPLIES				$   970.00		$   - 0				$   - 0		0%		67%		$   970.00		$   999.10

		6004		VEHICULAR SUPPLIES				$   25,000.00		$   1,404.80		3039.3		$   22,827.21		91%		67%		$   34,240.82		$   35,268.04

		6011		UNIFORMS & SAFETY EQUIPMENT				$   7,600.00		$   569.73				$   5,177.65		68%		67%		$   7,766.47		$   20,000.00		Improved safety program

		8002		EQUIPMENT RENTAL				$   1,180.00		$   - 0				$   298.00		25%		67%		$   447.00		$   460.41

		8999		DEPRECIATION EXPENSE				$   1,250,000.00		$   104,166.67		$   104,166.67		$   833,333.33		67%		67%		$   1,250,000.00		$   1,250,000.00

		51230

		54404		TRAVEL - EDUCATION				$   21,470.00		$   - 0		$   - 0		$   3,290.00		15%		67%		$   4,935.00		$   5,083.05

				** ADMIN & GENERAL EXPENSES **				$   2,431,724.79		$   190,147.48		$   189,452.56		$   1,521,989.88		63%		67%		$   2,384,154.83		$   2,484,399.18



		81240		** PAYROLL CLEARING **																						FY 26 interest				fy27 interest payment						FY27 Principal

		1001		PAYROLL FOR DEPARTMENTS				$   - 0		$   77,530.00		78396.35		640161.93		ERROR:#DIV/0!		67%		$   960,242.90						141000				21,503.13						$   70,000.00		VRA 2020 Spillway

				457 Employee Match				$   - 0						$   - 0		ERROR:#DIV/0!		67%		$   - 0		$   26,400.00				23296.88				6,476.00						$   225,000.00		VRA 2020 refund of VRA 2012

				HOSPITALIZATION				$   - 0						$   - 0		ERROR:#DIV/0!		67%		$   - 0		$   - 0				7454.88				47,797.80						$   355,000.00		Truist 2021 Refund

				GROUP LIFE				$   - 0						$   - 0		ERROR:#DIV/0!		67%		$   - 0		$   - 0				51315.3				19,709.38						$   178,142.66		City of Lynchburg WWRF

				SHORT/LONG TERM DISABILITY				$   - 0						$   - 0		ERROR:#DIV/0!		67%		$   - 0		$   - 0				141000				5,173.88

				** PAYROLL CLEARING **				$   - 0		$   77,530.00		$   78,396.35		$   640,161.93		ERROR:#DIV/0!		67%		$   960,242.90		$   26,400.00				21503.13				44,230.05						$   828,142.66		Total

				Interest																						6476				17,712.08

				WW/Lynchburg				$   21,134.29																		47797.8				162,602.32

				Revenue Bond				$   170,081.00														$   162,602.32				19449.46

				Notes Payable				$   14,408.00																		459293.45



				Debt Service Interest Exp				$   205,623.29												$   459,293.45		$   162,602.32

				-EXPENDITURE TOTAL-				$   5,405,534.88		$   490,004.15		$   367,903.13		$   3,243,512.93		60%		67%		$   5,589,793.07		$   5,540,258.67

				---GRAND TOTAL---				16,309.30		(37,856.34)		173,241.35		810,812.05		4971%		67%		114,263.42		407,288.17





Consumption



		Monthly Consumption Cubic Feet  



						water		sewer

		2023		1/1/23		4,038,246		653,399

				2/1/23		2,882,057		935,248

				3/1/23		3,172,845		576,134

				4/1/23		2,714,602		912,409

				5/1/23		3,962,015		733,619

				6/1/23		3,179,097		1,022,879

				7/1/23		4,044,855		741,997

				8/1/23		3,123,895		966,287

				9/1/23		4,228,513		682,299

				10/1/23		3,079,532		982,267

				11/1/23		3,588,810		661,572

				12/1/23		2,921,134		905,643

		2024		1/1/24		3,776,842		581,611

				2/1/24		2,829,328		881,027

				3/1/24		3,376,881		531,353

				4/1/24		3,000,667		1,020,657

				5/1/24		3,861,852		609,005

				6/1/24		3,049,491		979,940

				7/1/24		4,296,363		704,642

				8/1/24		3,580,572		1,397,479

				9/1/24		4,254,941		682,211

				10/1/24		3,287,172		1,020,832

				11/1/24		3,793,504		702,552

				12/1/24		3,162,078		1,027,175

		2025		1/1/25		4,102,823		812,952

				2/1/25		3,644,788		1,117,792

				3/1/25		3,791,169		656,761

				4/1/25		2,805,213		989,059

				5/1/25		5,095,556		1,820,511

				6/1/25		3,329,409		1,115,956

				7/1/25		3,992,926		669,155

				8/1/25		3,001,510		995,717

				9/1/25		4,104,554		757,818

				10/1/25		3,273,643		1,111,476

				11/1/25		3,647,394		660,096

				12/1/25		3,127,508		1,055,509

		2026		1/1/26		4,404,503		790,810





Monthly Billed Consumption



water	44927	44958	44986	45017	45047	45078	45108	45139	45170	45200	45231	45261	45292	45323	45352	45383	45413	45444	45474	45505	45536	45566	45597	45627	45658	45689	45717	45748	45778	45809	45839	45870	45901	45931	45962	45992	46023	4038246	2882057	3172845	2714602	3962015	3179097	4044855	3123895	4228513	3079532	3588810	2921134	3776842	2829328	3376881	3000667	3861852	3049491	4296363	3580572	4254941	3287172	3793504	3162078	4102823	3644788	3791169	2805213	5095556	3329409	3992926	3001510	4104554	3273643	3647394	3127508	4404503	sewer	44927	44958	44986	45017	45047	45078	45108	45139	45170	45200	45231	45261	45292	45323	45352	45383	45413	45444	45474	45505	45536	45566	45597	45627	45658	45689	45717	45748	45778	45809	45839	45870	45901	45931	45962	45992	46023	653399	935248	576134	912409	733619	1022879	741997	966287	682299	982267	661572	905643	581611	881027	531353	1020657	609005	979940	704642	1397479	682211	1020832	702552	1027175	812952	1117792	656761	989059	1820511	1115956	669155	995717	757818	1111476	660096	1055509	790810	

Cubic Ft











Proposed Rates



		Monthly Consumption Cubic Feet  



						water		sewer

		2023		1/1/23		4,038,246		653,399

				2/1/23		2,882,057		935,248

				3/1/23		3,172,845		576,134

				4/1/23		2,714,602		912,409

				5/1/23		3,962,015		733,619

				6/1/23		3,179,097		1,022,879

				7/1/23		4,044,855		741,997

				8/1/23		3,123,895		966,287

				9/1/23		4,228,513		682,299

				10/1/23		3,079,532		982,267

				11/1/23		3,588,810		661,572

				12/1/23		2,921,134		905,643

		2024		1/1/24		3,776,842		581,611

				2/1/24		2,829,328		881,027

				3/1/24		3,376,881		531,353

				4/1/24		3,000,667		1,020,657

				5/1/24		3,861,852		609,005

				6/1/24		3,049,491		979,940

				7/1/24		4,296,363		704,642

				8/1/24		3,580,572		1,397,479

				9/1/24		4,254,941		682,211

				10/1/24		3,287,172		1,020,832

				11/1/24		3,793,504		702,552

				12/1/24		3,162,078		1,027,175

		2025		1/1/25		4,102,823		812,952

				2/1/25		3,644,788		1,117,792

				3/1/25		3,791,169		656,761

				4/1/25		2,805,213		989,059

				5/1/25		5,095,556		1,820,511

				6/1/25		3,329,409		1,115,956

				7/1/25		3,992,926		669,155

				8/1/25		3,001,510		995,717

				9/1/25		4,104,554		757,818

				10/1/25		3,273,643		1,111,476

				11/1/25		3,647,394		660,096

				12/1/25		3,127,508		1,055,509

		2026		1/1/26		4,404,503		790,810























































































































































































































































Monthly Billed Consumption



water	44927	44958	44986	45017	45047	45078	45108	45139	45170	45200	45231	45261	45292	45323	45352	45383	45413	45444	45474	45505	45536	45566	45597	45627	45658	45689	45717	45748	45778	45809	45839	45870	45901	45931	45962	45992	46023	4038246	2882057	3172845	2714602	3962015	3179097	4044855	3123895	4228513	3079532	3588810	2921134	3776842	2829328	3376881	3000667	3861852	3049491	4296363	3580572	4254941	3287172	3793504	3162078	4102823	3644788	3791169	2805213	5095556	3329409	3992926	3001510	4104554	3273643	3647394	3127508	4404503	sewer	44927	44958	44986	45017	45047	45078	45108	45139	45170	45200	45231	45261	45292	45323	45352	45383	45413	45444	45474	45505	45536	45566	45597	45627	45658	45689	45717	45748	45778	45809	45839	45870	45901	45931	45962	45992	46023	653399	935248	576134	912409	733619	1022879	741997	966287	682299	982267	661572	905643	581611	881027	531353	1020657	609005	979940	704642	1397479	682211	1020832	702552	1027175	812952	1117792	656761	989059	1820511	1115956	669155	995717	757818	1111476	660096	1055509	790810	

Cubic Ft











General Rates

						GENERAL RATES AND FEES (per billing or event)								 07/01/23				7/1/25				7/1/26						Customer using 4,000 gallon/month or 5.347 HCF

						A.  Water:																						2024				2025				2026

						1.  Water Rate            								$6.22/HCF				$6.44/HCF				$6.63/HCF		3.0%				$   33.26				$   34.43				$   35.45

						2.  Water Basic Service Charge								$   24.00				$   25.00				$   25.00						$   24.00				$   25.00				$   25.00

																												$   57.26				$   59.43				$   60.45		$   1.02

						B.  Sewer Rate

						1.  Sewer Rate								$9.50/HCF				$9.83/HCF				$10.12/HCF		3.0%				$   50.80				$   52.56				$   54.11

						2.  Sewer Basic Service Charge								$   9.00				$   11.00				$   11.00						$   9.00				$   11.00				$   11.00

																												$   59.80				$   63.56				$   65.11		$   1.55

						C.  Fire Protection Systems:

						1.  6" or smaller								$   73.00				$   98.55				$   101.50		3.0%

						2.  8" or larger								$   78.00				$   105.30				$   108.46		3.0%



						D.  Disconnect Fee								$   50.00				$   50.00				$   50.00



						E.   Bad Check Fee								$   45.00				$   45.00				$   45.00



						F.   Meter Test Fee (meter determined								$   50.00				$   50.00				$   50.00

						to be accurate or slow)





rate effect on rev

						GENERAL RATES AND FEES (per billing or event)								 07/01/23				7/1/25				7/1/26						Customer using 4,000 gallon/month or 5.347 HCF

						A.  Water:																						2024				2025				2026

						1.  Water Rate            								$6.22/HCF				$6.44/HCF				$6.63/HCF		3.0%				$   33.26				$   34.43				$   35.45

						2.  Water Basic Service Charge								$   24.00				$   25.00				$   25.00						$   24.00				$   25.00				$   25.00

																												$   57.26				$   59.43				$   60.45		$   1.02

						B.  Sewer Rate

						1.  Sewer Rate								$9.50/HCF				$9.83/HCF				$10.12/HCF		3.0%				$   50.80				$   52.56				$   54.11

						2.  Sewer Basic Service Charge								$   9.00				$   11.00				$   11.00						$   9.00				$   11.00				$   11.00

																												$   59.80				$   63.56				$   65.11		$   1.55

						C.  Fire Protection Systems:

						1.  6" or smaller								$   73.00				$   98.55				$   101.50		3.0%

						2.  8" or larger								$   78.00				$   105.30				$   108.46		3.0%



						D.  Disconnect Fee								$   50.00				$   50.00				$   50.00



						E.   Bad Check Fee								$   45.00				$   45.00				$   45.00



						F.   Meter Test Fee (meter determined								$   50.00				$   50.00				$   50.00

						to be accurate or slow)





Capital FY27

				Capital FY27

				MAJOR
ACCT#
-----		DESCRIPTION
-----------				FY26 Approved BUDGET AMOUNT
------		FY27 Proposed BUDGET AMOUNT
------

				93010

				9317				From Operating Net		2,293.98		407,288.17

				9317		From Operating Depreciation				1,250,000.00		1,250,000.00

								From Cash Reserves		1,012,000.00		3,712,000.00		or VRA fall pool

										2,264,293.98		5,369,288.17

				16000		** CONNECTION CHARGES **

				1656		CONNECTION CHARGES -WATER				133,788.00		133,788.00

				1657		CONNECTION CHARGES SEWER				26,760.00		26,760.00

				1658		System Development Fees Water				267,576.00		267,576.00

				1659		System Development Fees Sewer				80,279.00		80,279.00

				1661		LINE EXTENSION CHARGE - SEWER



						** CONNECTION CHARGES **				508,403.00		508,403.00

						Project grant/loan funding

				33000

				4129		JAMES RIVER BANK STABILIZATION				2,000,000.00

				41090

						GATEWAY SANITARY SEWER FINANCING				2,500,000.00

								County Funded Sewer Extn. ARPA		500,000.00		200,000.00

				4131				Gateway ARPA		900,000.00		600,000.00

				4132		GATEWAY SEID grant funding						500,000.00





						VDH LOAN/PRINCIPAL FORGIVENESS - AMI				2,750,000.00

						FEMA GENERATOR GRANT				400,000.00		400,000.00

						CDBG SOUTH MADISON HEIGHTS WATER LINE GRANT				400,000.00		400,000.00



						** MISCELLENEOUS **				9,450,000.00		2,100,000.00



						FUND TOTAL REVENUE				12,222,696.98		7,977,691.17



						** PLANT & EQUIPMENT IN SERVICE **

				1001		WATER CONNECTIONS - WAGES				43,092.00		43,092.00

				6040		WATER CONNECTION - MATERIAL				23,250.00		23,250.00

				1001		SEWER CONNECTIONS - WAGES						10,000.00

				6040		SEWER CONNECTION - MATERIAL						5,000.00

				8209		TRANSPORTATION EQUIPMENT - TRUCK				80,000.00		80,000.00



				81200		** LINE EXTENSION **

				1001		WATER LINE EXTENSION - WAGES				9,428.00		9,428.00

				3013		WATER LINE EXT - PROF FEES				12,730.00		12,730.00

				3015		WATER LINE EXT - CONTRACTORS				111,200.00		50,000.00

				6040		WATER LINE EXT - MATERIAL				13,100.00		13,100.00

				81201

				1001		SEWER LINE EXT - WAGES				2,020.00		2,020.00

				3013		SEWER LINE EXT - PROF FEES				14,830.00		14,830.00

				3015		SEWER LINE EXT - CONTRACTOR				250,000.00		250,000.00

						** LINE EXTENSION **				413,308.00		352,108.00

				1001		WATER LINE REPLACE - WAGES				8,748.00		8,748.00

				3013		WATER LINE REHAB - PROF SERVICES				18,350.00		18,350.00

				3015		WATER LINE REPLACE - CONTRACTOR				1,120,000.00		1,520,000.00		Rt 130 & 210 12"

				6040		WATER LINE REPLACE - MATERIAL				13,500.00		13,500.00

						WRIGHT SHOP TANK PRESSURE ZONE				68,000.00		68,000.00

						LAKEVIEW AREA IMPROVEMENTS				400,000.00		400,000.00

						AUTOMATED METER INFRASTRUCTURE				2,750,000.00		2,750,000.00

				3013		SEWER LINE REHAB - PROF SERVICES				18,010.00		18,010.00

				8204		ACSA MASTER PLAN				25,000.00

				8217		GATEWAY SANITARY SEWER				2,500,000.00		1,000,000.00

				8218		JAMES RIVER BANK STABILIZATION				1,500,000.00

						WILLAMS CREEK SPS GENERATOR				400,000.00		400,000.00

						OPERATIONS CENTER				1,200,000.00		800,000.00

						Reichard Drive Lift Station (SLS2)				31,000.00		31,000.00

						Lighthouse Baptist Ch Lift Station (SLS3)				35,000.00		35,000.00

						IVANHOE WWTP				100,000.00

						WESTBRIAR WWTP				100,000.00



						PROJECT TOTAL				10,287,608.00		7,062,608.00



		91050		** DEBT  **

		9701		DEBT RETIREMENT PRINCIPAL						624,000.00

		9705		PRINCIPAL VPFP 2020 REFI						285,000.00		$   70,000.00		VRA 2020 Spillway

		9707		15% DEBT SERVICE COVERAGE						167,657.00		$   225,000.00		VRA 2020 refund of VRA 2012

		9708		INTEREST & DEBT COSTS						205,624.00		$   355,000.00		Truist 2021 Refund

		9709		CAP PYMNT REGIONAL SEWAGE PLANT						185,000.00		$   178,142.66		City of Lynchburg WWRF

		9710		CITY CAPITAL PAYMENTS - PAYGO						80,000.00		80,000.00		PayGo

				** DEBT  PRINCIPAL**						1,547,281.00		908,142.66

								Capital GRAND TOTAL		387,807.98		6,940.51






ACSA GIS Coordinants for Meter 

		UP#		Survey		Survey ID		Serial Number		Utility Type		Log Event		Record Index		Creation Date		Latitude		Longitude		Inc. Distance (ft)		Accum. Distance (ft)		Locate Current (A)		Locate Current Direction		Depth (in)		Frequency (Hz)		Locate View		Bargraph Mode		Locator Gain (%)		Bargraph (%)		Battery (%)		Offset (in)		Vector Separation (in)		Pitch (deg)		Roll (deg)		Compass (deg)		GPS Valid		GPS Time		GPS Fix		No. Satellites		PDOP		HDOP		VDOP		Altitude/Locator Antenna/Geoid (in)		Geoid Separation (in)		Auto Mode		GPS Mode		Fix Dimension		Age.Diff(s)		Diff.Ref. Station Id		SD Latitude (in)		SD Longitude (in)		SD Altitude (in)		2DRMS (in)		Comments		Feature Code		Feature Description

		Observations:

		UP1		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1		7/1/25 7:51		3727'21.0268"N		796'16.5975"W		0		0		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		1.603		100		37		8		4.188		-4.523		-13.112		Yes		7/1/25 7:51		RTK		23		1.13		0.67		0.9		9417		-1339		Yes		RTK		3D		1.2		1814		0.472		0.343		0.394		1.167				WME		Water Meter

		UP2		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2		7/1/25 7:53		3727'20.1351"N		796'17.3831"W		110.387		110.387		0		UNKNOWN		33		512		CLASSIC		OMNI PEAK		140		100		100		-9		12		12.65		-1.445		-70.472		Yes		7/1/25 7:53		RTK		27		1.09		0.65		0.88		9435		-1339		Yes		RTK		3D		2		1814		0.394		0.315		0.394		1.008				WME		Water Meter

		UP3		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3		7/1/25 7:53		3727'19.4662"N		796'17.9967"W		83.949		194.336		0		UNKNOWN		20		512		CLASSIC		OMNI PEAK		140		100		100		-5		12		13.489		0.31		-69.608		Yes		7/1/25 7:53		RTK		29		1.07		0.64		0.86		9433		-1339		Yes		RTK		3D		0.8		1814		0.672		0.512		0.394		1.689				WME		Water Meter

		UP4		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4		7/1/25 7:54		3727'18.9350"N		796'18.4383"W		64.564		258.9		0.006		UNKNOWN		1326		512		CLASSIC		OMNI PEAK		140		100		100		25		10		14.773		2.694		-50.191		Yes		7/1/25 7:54		RTK		28		1.09		0.65		0.88		9413		-1339		Yes		RTK		3D		1.4		1814		0.85		0.591		0.472		2.071				WME		Water Meter

		UP5		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5		7/1/25 7:56		3727'17.8887"N		796'16.6304"W		180.186		439.086		-0.002		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		55.532		100		57		8		17.447		0.544		-56.394		Yes		7/1/25 7:56		RTK		32		1		0.61		0.79		9523		-1339		Yes		RTK		3D		1.4		1814		0.672		0.512		0.394		1.689				WME		Water Meter

		UP6		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6		7/1/25 7:58		3727'19.0073"N		796'14.2877"W		220.165		659.251		0		UNKNOWN		68		512		CLASSIC		OMNI PEAK		140		96.1		100		41		7		14.153		0.159		-9.99		Yes		7/1/25 7:58		RTK		31		1.01		0.61		0.81		9694		-1339		Yes		RTK		3D		1.6		1814		0.85		0.591		0.472		2.071				WME		Water Meter

		UP7		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		7		7/1/25 7:58		3727'19.4081"N		796'13.7112"W		61.715		720.966		-0.003		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		41.136		100		40		6		11.764		0.148		2.198		Yes		7/1/25 7:58		RTK		31		1.01		0.61		0.81		9721		-1339		Yes		RTK		3D		1.4		1814		0.433		0.343		0.394		1.104				WME		Water Meter

		UP8		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		8		7/1/25 7:59		3727'19.8898"N		796'12.4570"W		112.211		833.177		0		UNKNOWN		23		512		CLASSIC		OMNI PEAK		140		100		100		10		8		9.611		0.043		-4.698		Yes		7/1/25 7:59		RTK		31		1.01		0.61		0.8		9741		-1339		Yes		RTK		3D		1		1814		0.85		0.512		0.472		1.985				WME		Water Meter

		UP9		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		9		7/1/25 7:59		3727'20.1748"N		796'11.5405"W		79.273		912.45		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		5.193		100		-26		11		12.522		-1.197		4.4		Yes		7/1/25 7:59		RTK		31		1.01		0.61		0.8		9751		-1339		Yes		RTK		3D		0.8		1814		1.157		0.672		0.512		2.677				WME		Water Meter

		UP10		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		10		7/1/25 8:00		3727'20.4619"N		796'10.3154"W		102.867		1015.317		-0.005		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		28		7		11.12		-0.698		-13.435		Yes		7/1/25 8:00		RTK		32		1		0.61		0.79		9770		-1339		Yes		RTK		3D		1		1814		0.591		0.472		0.394		1.513				WME		Water Meter

		UP11		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		11		7/1/25 8:00		3727'20.7285"N		796'9.6247"W		61.853		1077.17		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		33.803		100		-35		7		10.619		0.515		-81.958		Yes		7/1/25 8:00		RTK		31		0.94		0.57		0.75		9792		-1339		Yes		RTK		3D		1		1814		0.394		0.339		0.394		1.039				WME		Water Meter

		UP12		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		12		7/1/25 8:01		3727'21.0529"N		796'8.4975"W		96.56		1173.73		0		UNKNOWN		46		512		CLASSIC		OMNI PEAK		140		100		100		12		12		11.456		3.396		77.498		Yes		7/1/25 8:01		RTK		32		0.9		0.56		0.71		9829		-1339		Yes		RTK		3D		0.8		1814		0.512		0.382		0.394		1.277				WME		Water Meter

		UP13		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		13		7/1/25 8:02		3727'21.4269"N		796'7.5283"W		86.783		1260.514		0		UNKNOWN		4		512		CLASSIC		OMNI PEAK		140		69.458		100		-8		12		6.501		2.495		-5.342		Yes		7/1/25 8:02		RTK		32		0.91		0.56		0.71		9812		-1339		Yes		RTK		3D		1.2		1814		0.85		0.591		0.472		2.071				WME		Water Meter

		UP14		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		14		7/1/25 8:02		3727'21.6085"N		796'7.0714"W		41.151		1301.664		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		0.995		100		3		11		14.269		1.674		-53.878		Yes		7/1/25 8:02		RTK		32		0.91		0.56		0.72		9769		-1339		Yes		RTK		3D		1		1814		0.591		0.551		0.433		1.616				WME		Water Meter

		UP15		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		15		7/1/25 8:02		3727'21.9029"N		796'6.2251"W		74.409		1376.074		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		16.471		100		-41		6		13.627		5.607		-74.551		Yes		7/1/25 8:02		RTK		32		0.91		0.56		0.72		9747		-1339		Yes		RTK		3D		1.4		1814		0.512		0.394		0.394		1.291				WME		Water Meter

		UP16		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		16		7/1/25 8:03		3727'22.4143"N		796'4.7448"W		130.017		1506.091		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		42.211		100		3		10		12.474		3.068		-8.568		Yes		7/1/25 8:03		RTK		32		0.91		0.56		0.72		9692		-1339		Yes		RTK		3D		1.2		1814		0.551		0.433		0.394		1.402				WME		Water Meter

		UP17		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		17		7/1/25 8:04		3727'22.7085"N		796'4.0681"W		62.133		1568.223		0		UNKNOWN		41		512		CLASSIC		OMNI PEAK		140		100		100		2		8		19.258		3.936		-7.71		Yes		7/1/25 8:04		RTK		32		0.91		0.56		0.72		9682		-1339		Yes		RTK		3D		1.8		1814		0.472		0.394		0.394		1.23				WME		Water Meter

		UP18		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		18		7/1/25 8:04		3727'22.8965"N		796'3.4542"W		52.99		1621.213		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		34.942		100		1		9		20.156		5.158		-36.301		Yes		7/1/25 8:04		RTK		32		0.94		0.57		0.75		9678		-1339		Yes		RTK		3D		0.8		1814		0.672		0.551		0.433		1.738				WME		Water Meter

		UP19		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		19		7/1/25 8:05		3727'23.2210"N		796'2.4275"W		88.997		1710.21		0		UNKNOWN		25		512		CLASSIC		OMNI PEAK		140		100		100		4		10		14.787		2.24		-15.814		Yes		7/1/25 8:05		RTK		32		0.91		0.56		0.72		9690		-1339		Yes		RTK		3D		1.6		1814		0.85		0.591		0.472		2.071				WME		Water Meter

		UP20		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		20		7/1/25 8:05		3727'23.5778"N		796'1.4038"W		90.04		1800.251		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		21.819		100		-41		10		15.935		0.548		8.09		Yes		7/1/25 8:05		RTK		32		0.91		0.56		0.72		9707		-1339		Yes		RTK		3D		1.2		1814		0.433		0.374		0.394		1.144				WME		Water Meter

		UP21		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		21		7/1/25 8:06		3727'24.0695"N		795'59.9194"W		129.53		1929.78		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		5.343		100		0		10		16.095		1.168		46.368		Yes		7/1/25 8:06		RTK		32		0.91		0.56		0.72		9742		-1339		Yes		RTK		3D		1		1814		0.382		0.28		0.394		0.947				WME		Water Meter

		UP22		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		22		7/1/25 8:07		3727'24.3521"N		795'58.6940"W		102.766		2032.546		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		9.418		100		4		11		17.934		5.092		31.617		Yes		7/1/25 8:07		RTK		32		0.95		0.59		0.75		9854		-1339		Yes		RTK		3D		1.2		1814		0.433		0.335		0.394		1.095				WME		Water Meter

		UP23		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		23		7/1/25 8:08		3727'25.2750"N		795'56.0330"W		233.856		2266.402		0.035		UNKNOWN		35045		512		CLASSIC		OMNI PEAK		140		41.528		100		-56		8		14.446		3.064		-0.371		Yes		7/1/25 8:08		RTK		31		0.96		0.58		0.76		10085		-1339		Yes		RTK		3D		0.6		1814		0.472		0.394		0.394		1.23				WME		Water Meter

		UP24		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		24		7/1/25 8:08		3727'25.5118"N		795'55.2947"W		64.129		2330.531		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		26.182		100		-1		11		18.99		1.788		36.376		Yes		7/1/25 8:08		RTK		32		1		0.6		0.8		10144		-1339		Yes		RTK		3D		1.6		1814		1.05		0.672		0.512		2.493				WME		Water Meter

		UP25		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		25		7/1/25 8:09		3727'25.7651"N		795'54.1344"W		96.912		2427.443		0.001		UNKNOWN		275		512		CLASSIC		OMNI PEAK		140		100		100		-23		9		15.722		-2.399		-15.625		Yes		7/1/25 8:09		RTK		32		0.96		0.58		0.76		10229		-1339		Yes		RTK		3D		0.6		1814		0.394		0.319		0.394		1.013				WME		Water Meter

		UP26		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		26		7/1/25 8:11		3727'25.9167"N		795'53.0639"W		87.576		2515.018		0		UNKNOWN		57		512		CLASSIC		OMNI PEAK		140		100		100		0		6		13.736		-5.231		-7.297		Yes		7/1/25 8:12		RTK		32		0.96		0.58		0.76		10286		-1339		Yes		RTK		3D		1.4		1814		0.551		0.433		0.394		1.402				WME		Water Meter

		UP27		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		27		7/1/25 8:14		3727'25.1525"N		795'54.2700"W		124.283		2639.301		0		UNKNOWN		87		512		CLASSIC		OMNI PEAK		140		14.818		100		104		12		20.753		0.908		-69.283		Yes		7/1/25 8:14		RTK		31		1.09		0.66		0.87		10194		-1339		Yes		RTK		3D		1.2		1814		0.512		0.433		0.394		1.341				WME		Water Meter

		UP28		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		28		7/1/25 8:14		3727'24.6519"N		795'56.0481"W		151.931		2791.233		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		7.983		100		-9		9		13.498		-1.155		-49.255		Yes		7/1/25 8:14		RTK		32		1.14		0.67		0.93		10041		-1339		Yes		RTK		3D		1.4		1814		0.948		0.672		0.512		2.323				WME		Water Meter

		UP29		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		29		7/1/25 8:15		3727'24.3012"N		795'57.0146"W		85.577		2876.809		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		0.151		100		-20		6		9.14		-5.703		82.449		Yes		7/1/25 8:15		RTK		32		1.02		0.62		0.81		9950		-1339		Yes		RTK		3D		1.6		1814		0.472		0.358		0.394		1.186				WME		Water Meter

		UP30		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		30		7/1/25 8:16		3727'24.0402"N		795'57.8793"W		74.504		2951.314		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		0.938		100		13		12		10.33		-4.374		26.321		Yes		7/1/25 8:16		RTK		32		1.03		0.62		0.82		9875		-1339		Yes		RTK		3D		0.6		1814		0.433		0.354		0.394		1.119				WME		Water Meter

		UP31		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		31		7/1/25 8:16		3727'23.7621"N		795'58.6229"W		66.194		3017.507		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		0		100		3		13		15.929		-3.146		-42.507		Yes		7/1/25 8:16		RTK		32		1.1		0.66		0.88		9825		-1339		Yes		RTK		3D		1.4		1814		0.433		0.346		0.394		1.109				WME		Water Meter

		UP32		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		32		7/1/25 8:17		3727'23.6540"N		795'59.0472"W		35.887		3053.394		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		10.512		100		-7		10		21.466		-3.401		-13.586		Yes		7/1/25 8:17		RTK		32		0.94		0.58		0.74		9805		-1339		Yes		RTK		3D		0.6		1814		0.472		0.433		0.394		1.282				WME		Water Meter

		UP33		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		33		7/1/25 8:17		3727'23.1810"N		796'0.4140"W		120.078		3173.472		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		0.013		100		0		11		22.078		-11.747		-36.752		Yes		7/1/25 8:17		RTK		32		0.91		0.55		0.73		9742		-1339		Yes		RTK		3D		1.4		1814		0.386		0.319		0.394		1.001				WME		Water Meter

		UP34		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		34		7/1/25 8:17		3727'23.0925"N		796'0.7548"W		28.881		3202.354		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		15.631		100		31		8		15.88		-2.271		-64.076		Yes		7/1/25 8:17		RTK		32		0.91		0.55		0.73		9725		-1339		Yes		RTK		3D		0.8		1814		0.386		0.307		0.394		0.986				WME		Water Meter

		UP35		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		35		7/1/25 8:18		3727'22.5937"N		796'2.1752"W		125.081		3327.435		0		UNKNOWN		19		512		CLASSIC		OMNI PEAK		140		44.678		100		-5		9		16.143		-1.968		-34.848		Yes		7/1/25 8:18		RTK		32		0.92		0.55		0.73		9701		-1339		Yes		RTK		3D		1.6		1814		0.35		0.283		0.394		0.901				WME		Water Meter

		UP36		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		36		7/1/25 8:18		3727'22.4752"N		796'2.5095"W		29.482		3356.917		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		0.884		100		-16		9		18.954		-4.35		43.294		Yes		7/1/25 8:18		RTK		32		0.92		0.55		0.74		9689		-1339		Yes		RTK		3D		1		1814		0.37		0.311		0.394		0.967				WME		Water Meter

		UP37		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		37		7/1/25 8:20		3727'20.9451"N		796'7.1798"W		406.892		3763.809		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		1.175		100		3		10		14.519		-4.527		-12.026		Yes		7/1/25 8:20		RTK		32		0.93		0.55		0.75		9781		-1339		Yes		RTK		3D		1.4		1814		0.343		0.315		0.394		0.931				WME		Water Meter

		UP38		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		38		7/1/25 8:21		3727'20.5594"N		796'8.1083"W		84.39		3848.199		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		46.139		100		-1		10		13.096		0.207		-2.046		Yes		7/1/25 8:21		RTK		32		0.93		0.55		0.75		9815		-1339		Yes		RTK		3D		1		1814		0.433		0.394		0.394		1.171				WME		Water Meter

		UP39		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		39		7/1/25 8:21		3727'20.3689"N		796'8.8727"W		64.527		3912.727		0		UNKNOWN		45		512		CLASSIC		OMNI PEAK		140		97.635		100		40		11		16.947		-2.272		-51.417		Yes		7/1/25 8:21		RTK		32		0.93		0.55		0.75		9798		-1339		Yes		RTK		3D		0.8		1814		0.346		0.295		0.394		0.91				WME		Water Meter

		UP40		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		40		7/1/25 8:22		3727'19.9472"N		796'10.1476"W		111.227		4023.954		0.001		UNKNOWN		60		512		CLASSIC		OMNI PEAK		140		100		100		-25		12		8.185		0.453		72.485		Yes		7/1/25 8:22		RTK		32		0.94		0.55		0.76		9752		-1339		Yes		RTK		3D		1		1814		0.512		0.433		0.394		1.341				WME		Water Meter

		UP41		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		41		7/1/25 8:23		3727'19.6063"N		796'11.0128"W		77.786		4101.74		0.001		UNKNOWN		67		512		CLASSIC		OMNI PEAK		140		100		100		5		11		16.247		-5.303		-12.266		Yes		7/1/25 8:23		RTK		32		0.94		0.55		0.76		9725		-1339		Yes		RTK		3D		1.2		1814		0.472		0.433		0.394		1.282				WME		Water Meter

		UP42		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		42		7/1/25 8:23		3727'19.3776"N		796'11.8613"W		72.17		4173.91		0.035		UNKNOWN		3731		512		CLASSIC		OMNI PEAK		140		100		100		-62		11		18.445		-4.966		56.596		Yes		7/1/25 8:23		RTK		32		0.94		0.55		0.76		9704		-1339		Yes		RTK		3D		0.8		1814		0.472		0.386		0.394		1.22				WME		Water Meter

		UP43		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		43		7/1/25 8:23		3727'19.1091"N		796'12.5560"W		62.224		4236.134		0.001		UNKNOWN		40		512		CLASSIC		OMNI PEAK		140		100		100		-13		12		15.627		2.065		-17.961		Yes		7/1/25 8:23		RTK		32		0.94		0.55		0.76		9694		-1339		Yes		RTK		3D		1.2		1814		0.394		0.374		0.394		1.086				WME		Water Meter

		UP44		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		44		7/1/25 8:24		3727'18.5561"N		796'13.7977"W		114.663		4350.797		0.001		UNKNOWN		33		512		CLASSIC		OMNI PEAK		140		100		100		19		12		9.299		-4.431		13.727		Yes		7/1/25 8:24		RTK		32		0.94		0.55		0.77		9660		-1339		Yes		RTK		3D		1		1814		0.386		0.35		0.394		1.042				WME		Water Meter

		UP45		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		45		7/1/25 8:24		3727'17.8216"N		796'14.8199"W		111.038		4461.835		0.001		UNKNOWN		17		512		CLASSIC		OMNI PEAK		140		100		100		-11		13		10.678		-5.135		4.007		Yes		7/1/25 8:25		RTK		32		0.98		0.58		0.79		9600		-1339		Yes		RTK		3D		0.8		1814		0.394		0.339		0.394		1.039				WME		Water Meter

		UP46		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		46		7/1/25 8:25		3727'17.4803"N		796'15.5123"W		65.635		4527.47		0		UNKNOWN		34		512		CLASSIC		OMNI PEAK		140		100		100		-20		12		20.383		-1.133		46.85		Yes		7/1/25 8:25		RTK		31		0.98		0.57		0.8		9563		-1339		Yes		RTK		3D		1		1814		0.551		0.433		0.394		1.402				WME		Water Meter

		UP47		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		47		7/1/25 8:26		3727'17.2477"N		796'16.4470"W		78.891		4606.361		0		UNKNOWN		52		512		CLASSIC		OMNI PEAK		140		100		100		-21		9		7.792		-1.607		-0.035		Yes		7/1/25 8:26		RTK		31		0.98		0.57		0.8		9517		-1339		Yes		RTK		3D		1		1814		0.39		0.307		0.394		0.992				WME		Water Meter

		UP48		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		48		7/1/25 8:26		3727'17.2547"N		796'17.3220"W		70.474		4676.835		0		UNKNOWN		78		512		CLASSIC		OMNI PEAK		140		100		100		6		9		15.681		-2.696		-7.495		Yes		7/1/25 8:26		RTK		31		0.95		0.55		0.78		9484		-1339		Yes		RTK		3D		1.2		1814		0.433		0.35		0.394		1.114				WME		Water Meter

		UP49		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		49		7/1/25 8:28		3727'16.5696"N		796'20.0532"W		230.675		4907.509		0		UNKNOWN		19		512		CLASSIC		OMNI PEAK		140		100		100		9		6		20.712		2.231		-80.68		Yes		7/1/25 8:28		RTK		31		0.99		0.56		0.81		9266		-1339		Yes		RTK		3D		2.2		1814		0.551		0.472		0.394		1.452				WME		Water Meter

		UP50		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		50		7/1/25 8:29		3727'16.0462"N		796'19.9686"W		53.537		4961.047		0		UNKNOWN		54		512		CLASSIC		OMNI PEAK		140		75.159		100		-25		13		9.801		-1.008		-5.447		Yes		7/1/25 8:29		RTK		32		0.96		0.55		0.79		9248		-1339		Yes		RTK		3D		0.6		1814		0.591		0.472		0.394		1.513				WME		Water Meter

		UP51		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		51		7/1/25 8:29		3727'14.8562"N		796'19.5031"W		126.408		5087.455		0		UNKNOWN		19		512		CLASSIC		OMNI PEAK		140		100		100		-5		13		14.601		-0.117		0.096		Yes		7/1/25 8:29		RTK		32		0.96		0.55		0.79		9217		-1339		Yes		RTK		3D		1.6		1814		0.433		0.37		0.394		1.139				WME		Water Meter

		UP52		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		52		7/1/25 8:33		3727'14.3070"N		796'18.5084"W		97.58		5185.035		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		0.069		100		-1		12		10.692		-1.849		-19.878		Yes		7/1/25 8:33		FLOAT RTK		32		0.97		0.55		0.81		9269		-1339		Yes		FLOAT RTK		3D		1.8		1814		5.154		3.497		0.669		12.456				WME		Water Meter

		UP53		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		53		7/1/25 8:36		3727'12.1596"N		796'16.6977"W		262.155		5447.19		0		UNKNOWN		2		512		CLASSIC		OMNI PEAK		140		25.356		100		-16		9		16.226		-0.407		35.471		Yes		7/1/25 8:37		RTK		32		0.96		0.53		0.8		9233		-1339		Yes		RTK		3D		1.2		1814		0.472		0.394		0.394		1.23				WME		Water Meter

		UP54		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		54		7/1/25 8:38		3727'13.1997"N		796'14.6452"W		196.112		5643.303		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		1.688		100		-4		12		14.793		-0.702		23.594		Yes		7/1/25 8:38		RTK		32		0.96		0.53		0.8		9390		-1339		Yes		RTK		3D		1.4		1814		0.591		0.512		0.433		1.563				WME		Water Meter

		UP55		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		55		7/1/25 8:39		3727'14.1490"N		796'13.6361"W		126.013		5769.315		0		UNKNOWN		220		512		CLASSIC		OMNI PEAK		140		57.448		100		24		11		20.819		-4.281		8.096		Yes		7/1/25 8:39		RTK		32		0.98		0.54		0.83		9450		-1339		Yes		RTK		3D		1.2		1814		0.551		0.472		0.394		1.452				WME		Water Meter

		UP56		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		56		7/1/25 8:39		3727'14.8647"N		796'12.8892"W		94.289		5863.604		0		UNKNOWN		150		512		CLASSIC		OMNI PEAK		140		97.927		100		1		9		13.497		-2.363		4.071		Yes		7/1/25 8:39		RTK		32		0.96		0.53		0.81		9487		-1339		Yes		RTK		3D		0.6		1814		0.591		0.512		0.512		1.563				WME		Water Meter

		UP57		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		57		7/1/25 8:40		3727'15.5714"N		796'12.2451"W		88.495		5952.1		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		4.796		100		222		8		13.095		-1.99		68.492		Yes		7/1/25 8:40		RTK		32		0.96		0.53		0.81		9526		-1339		Yes		RTK		3D		0.8		1814		0.759		0.551		0.512		1.875				WME		Water Meter

		UP58		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		58		7/1/25 8:41		3727'16.0887"N		796'11.0469"W		109.845		6061.944		0.001		UNKNOWN		1717		512		CLASSIC		OMNI PEAK		140		26.878		100		-116		5		11.812		-2.214		-51.042		Yes		7/1/25 8:41		RTK		32		0.96		0.52		0.81		9533		-1339		Yes		RTK		3D		1		1814		0.551		0.433		0.472		1.402				WME		Water Meter

		UP59		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		59		7/1/25 8:41		3727'15.7422"N		796'10.6164"W		49.372		6111.316		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		0.36		100		-21		10		14.568		-1.529		8.553		Yes		7/1/25 8:41		RTK		32		1		0.54		0.84		9498		-1339		Yes		RTK		3D		1.2		1814		0.512		0.433		0.433		1.341				WME		Water Meter

		UP60		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		60		7/1/25 8:41		3727'15.5343"N		796'10.5507"W		21.753		6133.07		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		0.563		100		-15		10		6.852		-3.692		-11.511		Yes		7/1/25 8:42		RTK		32		0.98		0.53		0.83		9471		-1339		Yes		RTK		3D		1.4		1814		0.472		0.382		0.394		1.215				WME		Water Meter

		UP61		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		61		7/1/25 8:43		3727'14.1620"N		796'12.8162"W		229.503		6362.573		0		UNKNOWN		37		512		CLASSIC		OMNI PEAK		140		100		100		-2		11		24.356		-6.363		-24.514		Yes		7/1/25 8:43		RTK		32		0.97		0.53		0.82		9449		-1339		Yes		RTK		3D		1.4		1814		0.472		0.394		0.394		1.23				WME		Water Meter

		UP62		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		62		7/1/25 8:43		3727'13.2442"N		796'13.6695"W		115.724		6478.297		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		17.162		100		2		10		11.448		-1.698		18.653		Yes		7/1/25 8:43		RTK		32		0.97		0.52		0.81		9404		-1339		Yes		RTK		3D		1.4		1814		0.472		0.394		0.394		1.23				WME		Water Meter

		UP63		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		63		7/1/25 8:44		3727'12.7302"N		796'14.2255"W		68.733		6547.03		0		UNKNOWN		247		512		CLASSIC		OMNI PEAK		140		100		100		44		8		13.91		-1.734		-40.067		Yes		7/1/25 8:44		RTK		32		0.98		0.53		0.83		9383		-1339		Yes		RTK		3D		1.6		1814		0.551		0.472		0.433		1.452				WME		Water Meter

		UP64		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		64		7/1/25 8:44		3727'12.0108"N		796'15.2688"W		111.296		6658.326		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		-3		11		14.794		-1.973		-24.785		Yes		7/1/25 8:44		RTK		32		1.01		0.54		0.86		9320		-1339		Yes		RTK		3D		1.2		1814		0.672		0.551		0.472		1.738				WME		Water Meter

		UP65		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		65		7/1/25 8:45		3727'11.6017"N		796'16.1849"W		84.648		6742.974		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		18.772		100		1		10		14.406		0.617		-52.164		Yes		7/1/25 8:45		RTK		32		0.99		0.53		0.84		9266		-1339		Yes		RTK		3D		1.6		1814		0.433		0.327		0.394		1.085				WME		Water Meter

		UP66		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		66		7/1/25 9:00		3727'9.6966"N		796'16.9042"W		201.765		6944.74		0		UNKNOWN		43		512		CLASSIC		OMNI PEAK		140		44.651		100		-51		7		13.92		-6.775		-54.038		Yes		7/1/25 9:00		RTK		32		0.93		0.48		0.8		9089		-1339		Yes		RTK		3D		1.4		1814		0.512		0.433		0.472		1.341				WME		Water Meter

		UP67		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		67		7/1/25 9:04		3727'5.7748"N		796'13.2812"W		493.4		7438.14		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		42.48		100		10		12		1.926		11.984		2.768		Yes		7/1/25 9:04		RTK		32		0.94		0.48		0.81		9175		-1339		Yes		RTK		3D		2		1814		0.551		0.433		0.394		1.402				WME		Water Meter

		UP68		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		68		7/1/25 9:04		3727'6.2950"N		796'12.7228"W		69.342		7507.482		0.003		UNKNOWN		1074		512		CLASSIC		OMNI PEAK		140		100		100		155		5		11.307		2.362		-7.878		Yes		7/1/25 9:04		RTK		32		1		0.5		0.87		9220		-1339		Yes		RTK		3D		0.4		1814		0.472		0.354		0.394		1.181				WME		Water Meter

		UP69		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		69		7/1/25 9:05		3727'6.8835"N		796'11.9517"W		86.141		7593.623		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		44.794		100		82		9		17.419		-1.929		-77.338		Yes		7/1/25 9:05		RTK		32		0.94		0.48		0.81		9265		-1339		Yes		RTK		3D		2.2		1814		0.433		0.386		0.394		1.16				WME		Water Meter

		UP70		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		70		7/1/25 9:06		3727'7.9691"N		796'11.0570"W		131.617		7725.24		-0.001		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		48.935		100		-31		8		14.948		1.408		8.159		Yes		7/1/25 9:06		RTK		32		0.96		0.49		0.83		9307		-1339		Yes		RTK		3D		1		1814		0.512		0.433		0.394		1.341				WME		Water Meter

		UP71		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		71		7/1/25 9:06		3727'8.7883"N		796'10.4025"W		98.415		7823.655		-0.001		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		70.244		100		-58		5		15.133		1.248		-25.007		Yes		7/1/25 9:06		RTK		32		1		0.49		0.87		9337		-1339		Yes		RTK		3D		1.6		1814		0.551		0.433		0.394		1.402				WME		Water Meter

		UP72		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		72		7/1/25 9:07		3727'9.6779"N		796'9.8342"W		101.191		7924.845		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		35.388		100		81		7		13.173		6.122		-16.152		Yes		7/1/25 9:07		RTK		32		0.94		0.48		0.81		9372		-1339		Yes		RTK		3D		1.2		1814		0.512		0.394		0.394		1.291				WME		Water Meter

		UP73		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		73		7/1/25 9:07		3727'10.8636"N		796'8.6045"W		155.812		8080.658		0.002		UNKNOWN		731		512		CLASSIC		OMNI PEAK		140		100		100		-162		7		14.983		3.774		8.556		Yes		7/1/25 9:07		RTK		32		0.99		0.51		0.85		9433		-1339		Yes		RTK		3D		1.2		1814		0.378		0.264		0.394		0.922				WME		Water Meter

		UP74		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		74		7/1/25 9:08		3727'11.4585"N		796'7.9589"W		79.66		8160.318		0		UNKNOWN		106		512		CLASSIC		OMNI PEAK		140		100		100		21		7		13.268		1.014		-53.313		Yes		7/1/25 9:08		RTK		32		0.98		0.49		0.85		9483		-1339		Yes		RTK		3D		0.8		1814		0.433		0.319		0.394		1.076				WME		Water Meter

		UP75		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		75		7/1/25 9:09		3727'12.4262"N		796'6.3669"W		161.481		8321.799		0		UNKNOWN		55		512		CLASSIC		OMNI PEAK		140		100		100		-5		2		17.556		-1.088		-12.122		Yes		7/1/25 9:09		RTK		32		0.98		0.49		0.85		9582		-1339		Yes		RTK		3D		1.2		1814		0.759		0.551		0.551		1.875				WME		Water Meter

		UP76		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		76		7/1/25 9:09		3727'12.8227"N		796'5.5010"W		80.509		8402.308		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		10.006		100		22		11		12.19		1.34		-36.243		Yes		7/1/25 9:09		RTK		32		1		0.5		0.87		9623		-1339		Yes		RTK		3D		1.8		1814		0.672		0.433		0.433		1.599				WME		Water Meter

		UP77		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		77		7/1/25 9:10		3727'13.1013"N		796'4.6361"W		75.173		8477.481		0.008		UNKNOWN		1336		512		CLASSIC		OMNI PEAK		140		100		100		18		8		12.887		0.186		-2.687		Yes		7/1/25 9:10		RTK		32		1.03		0.51		0.9		9662		-1339		Yes		RTK		3D		1		1814		0.759		0.472		0.512		1.787				WME		Water Meter

		UP78		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		78		7/1/25 9:10		3727'13.4595"N		796'3.2771"W		115.324		8592.805		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		44.258		100		-3		13		9.651		0.464		-19.254		Yes		7/1/25 9:10		RTK		31		1.08		0.52		0.94		9697		-1339		Yes		RTK		3D		1		1814		1.388		0.551		0.669		2.988				WME		Water Meter

		UP79		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		79		7/1/25 9:12		3727'16.2338"N		796'3.2873"W		281.449		8874.254		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		1.057		100		-13		6		12.799		-1.951		-67.025		Yes		7/1/25 9:12		RTK		31		1.08		0.52		0.95		9715		-1339		Yes		RTK		3D		0.8		1814		0.672		0.512		0.472		1.689				WME		Water Meter

		UP80		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		80		7/1/25 9:13		3727'16.8699"N		796'3.7989"W		76.575		8950.829		0		UNKNOWN		98		512		CLASSIC		OMNI PEAK		140		12.686		100		0		5		19.794		-1.245		70.473		Yes		7/1/25 9:13		RTK		31		1.16		0.54		1.03		9688		-1339		Yes		RTK		3D		1.6		1814		0.512		0.382		0.394		1.277				WME		Water Meter

		UP81		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		81		7/1/25 9:13		3727'17.4072"N		796'3.5026"W		59.499		9010.328		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		7.285		100		1		9		19.388		1.534		-77.368		Yes		7/1/25 9:13		RTK		32		1		0.48		0.87		9691		-1339		Yes		RTK		3D		1		1814		0.472		0.394		0.394		1.23				WME		Water Meter

		UP82		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		82		7/1/25 9:14		3727'17.5472"N		796'2.8934"W		51.079		9061.407		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		4.091		100		5		7		14.086		-2.196		-69.134		Yes		7/1/25 9:14		RTK		32		1.13		0.52		1.01		9716		-1339		Yes		RTK		3D		0.6		1814		0.948		0.512		0.63		2.154				WME		Water Meter

		UP83		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		83		7/1/25 9:14		3727'17.4505"N		796'2.5393"W		30.157		9091.564		0		UNKNOWN		19		512		CLASSIC		OMNI PEAK		140		100		100		5		5		0.212		-1.38		-47.222		Yes		7/1/25 9:14		RTK		32		1.05		0.5		0.93		9745		-1339		Yes		RTK		3D		1		1814		0.512		0.358		0.433		1.249				WME		Water Meter

		UP84		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		84		7/1/25 9:15		3727'16.0681"N		796'2.4112"W		140.624		9232.188		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		0.482		100		-10		7		5.372		-2.032		72.558		Yes		7/1/25 9:15		RTK		32		1.06		0.49		0.94		9771		-1339		Yes		RTK		3D		1.4		1814		0.433		0.335		0.433		1.095				WME		Water Meter

		UP85		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		85		7/1/25 9:17		3727'13.9336"N		796'1.0053"W		244.361		9476.549		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		4.824		100		-6		11		18.777		0.259		16.526		Yes		7/1/25 9:17		RTK		32		1.16		0.52		1.03		9734		-1339		Yes		RTK		3D		2.2		1814		0.512		0.433		0.472		1.341				WME		Water Meter

		UP86		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		86		7/1/25 9:18		3727'14.4874"N		795'59.0767"W		165.175		9641.724		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		37.43		100		-559		11		7.726		2.23		83.71		Yes		7/1/25 9:19		RTK		32		1.07		0.5		0.94		9711		-1339		Yes		RTK		3D		1		1814		0.672		0.551		0.551		1.738				WME		Water Meter

		UP87		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		87		7/1/25 9:19		3727'15.2439"N		795'57.2182"W		168.202		9809.926		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		15.264		100		-61		3		18.782		1.841		17.683		Yes		7/1/25 9:19		RTK		32		1.07		0.5		0.94		9749		-1339		Yes		RTK		3D		1.2		1814		0.591		0.394		0.591		1.42				WME		Water Meter

		UP88		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		88		7/1/25 9:20		3727'15.7162"N		795'56.5781"W		70.376		9880.302		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		11.522		100		-5		11		16.686		0.749		12.775		Yes		7/1/25 9:20		RTK		31		1.16		0.53		1.04		9818		-1339		Yes		RTK		3D		2.2		1814		0.672		0.591		0.551		1.789				WME		Water Meter

		UP89		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		89		7/1/25 9:21		3727'17.3321"N		795'55.3671"W		190.757		10071.059		0		UNKNOWN		68		512		CLASSIC		OMNI PEAK		140		100		100		-24		8		13.447		-0.758		-29.848		Yes		7/1/25 9:21		RTK		31		1.18		0.54		1.05		9949		-1339		Yes		RTK		3D		1		1814		0.948		0.512		0.63		2.154				WME		Water Meter

		UP90		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		90		7/1/25 9:21		3727'17.9709"N		795'54.9991"W		71.261		10142.32		0.001		UNKNOWN		325		512		CLASSIC		OMNI PEAK		140		100		100		20		11		13.981		1.611		-19.041		Yes		7/1/25 9:21		RTK		31		1.15		0.51		1.03		9990		-1339		Yes		RTK		3D		1.4		1814		0.512		0.358		0.433		1.249				WME		Water Meter

		UP91		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		91		7/1/25 9:23		3727'19.7211"N		795'58.0340"W		302.105		10444.425		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		14.599		100		10		7		12.082		-7.555		-76.048		Yes		7/1/25 9:23		RTK		32		1.17		0.53		1.04		9989		-1339		Yes		RTK		3D		1.2		1814		0.512		0.382		0.433		1.277				WME		Water Meter

		UP92		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		92		7/1/25 9:23		3727'20.3318"N		795'57.4991"W		75.46		10519.886		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		0.007		100		-7		12		16.09		-1.368		75.929		Yes		7/1/25 9:23		RTK		32		1.24		0.54		1.12		10006		-1339		Yes		RTK		3D		0.8		1814		0.591		0.433		0.512		1.465				WME		Water Meter

		UP93		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		93		7/1/25 9:24		3727'19.2180"N		795'55.0460"W		227.584		10747.469		0.002		UNKNOWN		450		512		CLASSIC		OMNI PEAK		140		100		100		11		11		13.805		-3.265		-85.973		Yes		7/1/25 9:24		RTK		32		1.16		0.53		1.04		10047		-1339		Yes		RTK		3D		0.8		1814		0.551		0.39		0.472		1.35				WME		Water Meter

		UP94		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		94		7/1/25 9:25		3727'20.1092"N		795'53.5344"W		151.644		10899.114		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		30.094		100		-34		3		19.94		1.697		-9.077		Yes		7/1/25 9:25		RTK		32		1.16		0.52		1.04		10066		-1339		Yes		RTK		3D		1.2		1814		0.759		0.551		0.591		1.875				WME		Water Meter

		UP95		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		95		7/1/25 9:26		3727'20.8674"N		795'52.7392"W		100.083		10999.197		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		69.498		100		14		6		12.856		-6.93		-41.633		Yes		7/1/25 9:26		RTK		30		1.18		0.52		1.06		10104		-1339		Yes		RTK		3D		1.6		1814		0.85		0.512		0.591		1.985				WME		Water Meter

		UP96		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		96		7/1/25 9:26		3727'21.4091"N		795'52.0659"W		77.209		11076.406		0.002		UNKNOWN		727		512		CLASSIC		OMNI PEAK		140		100		100		-4		11		9.711		5.978		54.984		Yes		7/1/25 9:26		FLOAT RTK		32		1.16		0.52		1.04		10148		-1339		Yes		FLOAT RTK		3D		1.6		1814		4.969		3.497		0.906		12.153				WME		Water Meter

		UP97		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		97		7/1/25 9:27		3727'22.3919"N		795'50.3163"W		172.604		11249.01		0.001		UNKNOWN		221		512		CLASSIC		OMNI PEAK		140		100		100		-53		6		23.33		0.042		-45.365		Yes		7/1/25 9:27		RTK		32		1.16		0.52		1.03		10170		-1339		Yes		RTK		3D		1.6		1814		0.433		0.346		0.394		1.109				WME		Water Meter

		UP98		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		98		7/1/25 9:31		3727'21.1975"N		795'51.1250"W		137.563		11386.573		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		65.844		100		96		7		25.684		-0.821		-47.055		Yes		7/1/25 9:31		RTK		32		1.25		0.55		1.12		10082		-1339		Yes		RTK		3D		1.4		1814		0.948		0.512		0.669		2.154				WME		Water Meter

		UP99		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		99		7/1/25 9:32		3727'19.8290"N		795'52.9918"W		204.637		11591.209		0		UNKNOWN		68		512		CLASSIC		OMNI PEAK		140		100		100		11		9		8.117		-4.756		-68.963		Yes		7/1/25 9:32		RTK		32		1.16		0.53		1.03		10034		-1339		Yes		RTK		3D		1.2		1814		0.672		0.433		0.591		1.599				WME		Water Meter

		UP100		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		100		7/1/25 9:33		3727'18.2158"N		795'54.0810"W		185.692		11776.901		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		40.528		100		25		10		13.447		-0.551		-15.955		Yes		7/1/25 9:33		RTK		32		1.16		0.53		1.03		9990		-1339		Yes		RTK		3D		1.2		1814		0.433		0.358		0.394		1.124				WME		Water Meter

		UP101		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		101		7/1/25 9:33		3727'17.5640"N		795'54.4512"W		72.533		11849.434		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		46.431		100		31		8		4.288		0.058		-12.907		Yes		7/1/25 9:33		RTK		32		1.15		0.52		1.02		9944		-1339		Yes		RTK		3D		1.6		1814		0.85		0.512		0.709		1.985				WME		Water Meter

		UP102		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		102		7/1/25 9:34		3727'16.4918"N		795'55.0686"W		119.6		11969.034		-0.001		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		96.969		100		0		10		10.388		-0.093		-21.433		Yes		7/1/25 9:34		RTK		32		1.18		0.54		1.04		9875		-1339		Yes		RTK		3D		1.6		1814		0.551		0.394		0.591		1.355				WME		Water Meter

		UP103		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		103		7/1/25 9:34		3727'15.9018"N		795'55.5706"W		72.226		12041.26		-0.001		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		98.44		100		-42		13		12.914		-1.002		4.52		Yes		7/1/25 9:34		RTK		32		1.25		0.55		1.12		9825		-1339		Yes		RTK		3D		1		1814		0.591		0.433		0.591		1.465				WME		Water Meter

		UP104		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		104		7/1/25 9:36		3727'15.2174"N		795'56.0094"W		77.911		12119.17		0		UNKNOWN		52		512		CLASSIC		OMNI PEAK		140		100		100		-7		7		32.882		-4.953		-12.3		Yes		7/1/25 9:36		RTK		32		1.17		0.53		1.05		9772		-1339		Yes		RTK		3D		1		1814		2.058		0.591		1.024		4.282				WME		Water Meter

		UP105		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		105		7/1/25 9:37		3727'14.2710"N		795'57.5108"W		154.401		12273.571		0		UNKNOWN		163		512		CLASSIC		OMNI PEAK		140		35.645		100		7		6		14.291		-3.205		-19.296		Yes		7/1/25 9:37		RTK		31		1.23		0.54		1.1		9633		-1339		Yes		RTK		3D		1.6		1814		0.85		0.512		0.709		1.985				WME		Water Meter

		UP106		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		106		7/1/25 9:37		3727'13.9070"N		795'58.6280"W		97.257		12370.828		0		UNKNOWN		161		512		CLASSIC		OMNI PEAK		140		83.597		100		-29		6		13.844		-3.811		-6.316		Yes		7/1/25 9:37		RTK		32		1.23		0.54		1.1		9652		-1339		Yes		RTK		3D		1.8		1814		0.512		0.394		0.512		1.291				WME		Water Meter

		UP107		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		107		7/1/25 9:38		3727'13.7896"N		795'59.2053"W		48.003		12418.831		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		38.429		100		1		4		17.456		-1.738		6.25		Yes		7/1/25 9:38		RTK		32		1.23		0.54		1.1		9660		-1339		Yes		RTK		3D		1		1814		1.05		0.591		0.748		2.409				WME		Water Meter

		UP108		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		108		7/1/25 9:38		3727'13.5312"N		796'0.4551"W		104.01		12522.84		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		21.874		100		8		10		10.282		-3.757		10.419		Yes		7/1/25 9:38		RTK		32		1.23		0.54		1.1		9672		-1339		Yes		RTK		3D		1.2		1814		1.157		0.591		0.827		2.599				WME		Water Meter

		UP109		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		109		7/1/25 9:39		3727'13.2142"N		796'1.5588"W		94.525		12617.365		0		UNKNOWN		130		512		CLASSIC		OMNI PEAK		140		57.631		100		7		9		-0.016		-7.253		4.862		Yes		7/1/25 9:39		FLOAT RTK		32		1.23		0.54		1.1		9644		-1339		Yes		FLOAT RTK		3D		1.8		1814		13.988		13.068		3.031		38.285				WME		Water Meter

		UP110		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		110		7/1/25 9:39		3727'12.8920"N		796'2.9198"W		114.374		12731.739		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		45.558		100		1		12		17.599		-5.476		15.754		Yes		7/1/25 9:39		RTK		32		1.23		0.54		1.1		9661		-1339		Yes		RTK		3D		1		1814		0.433		0.315		0.472		1.071				WME		Water Meter

		UP111		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		111		7/1/25 9:40		3727'12.5683"N		796'4.2340"W		110.826		12842.565		0		UNKNOWN		18		512		CLASSIC		OMNI PEAK		140		100		100		0		13		9.42		-4.143		71.682		Yes		7/1/25 9:40		RTK		32		1.23		0.54		1.1		9636		-1339		Yes		RTK		3D		1.2		1814		0.672		0.512		0.709		1.689				WME		Water Meter

		UP112		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		112		7/1/25 9:41		3727'11.9951"N		796'5.8509"W		142.612		12985.178		0		UNKNOWN		6		512		CLASSIC		OMNI PEAK		140		100		100		1		12		11.193		-2.369		82.895		Yes		7/1/25 9:41		RTK		32		1.09		0.51		0.96		9584		-1339		Yes		RTK		3D		2		1814		0.512		0.386		0.512		1.282				WME		Water Meter

		UP113		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		113		7/1/25 9:41		3727'11.2916"N		796'7.0802"W		122.048		13107.226		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		91.829		100		5		7		1.223		-0.2		-74.156		Yes		7/1/25 9:41		RTK		31		1.09		0.51		0.96		9510		-1339		Yes		RTK		3D		1.4		1814		0.512		0.394		0.512		1.291				WME		Water Meter

		UP114		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		114		7/1/25 9:42		3727'10.2570"N		796'8.3748"W		147.941		13255.167		-0.001		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		-51		4		3.021		-6.235		13.776		Yes		7/1/25 9:42		RTK		31		1.08		0.51		0.96		9414		-1339		Yes		RTK		3D		1.2		1814		0.472		0.37		0.472		1.2				WME		Water Meter

		UP115		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		115		7/1/25 9:42		3727'9.4245"N		796'9.0352"W		99.806		13354.974		-0.001		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		41		8		6.253		2.632		-21.361		Yes		7/1/25 9:43		RTK		32		1.08		0.51		0.96		9380		-1339		Yes		RTK		3D		0.6		1814		0.551		0.374		0.591		1.332				WME		Water Meter

		UP116		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		116		7/1/25 9:43		3727'8.7581"N		796'9.5561"W		79.568		13434.541		0		UNKNOWN		77		512		CLASSIC		OMNI PEAK		140		100		100		22		6		11.609		-5.981		-10.005		Yes		7/1/25 9:43		RTK		31		1.16		0.53		1.03		9354		-1339		Yes		RTK		3D		1		1814		1.512		0.948		1.024		3.568				WME		Water Meter

		UP117		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		117		7/1/25 9:44		3727'7.7343"N		796'10.2665"W		118.579		13553.12		-0.001		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		52.508		100		14		9		15.177		-4.572		-44.528		Yes		7/1/25 9:44		RTK		31		1.08		0.51		0.95		9305		-1339		Yes		RTK		3D		1.8		1814		0.948		0.512		0.748		2.154				WME		Water Meter

		UP118		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		118		7/1/25 9:44		3727'6.9127"N		796'10.9863"W		101.529		13654.649		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		5.045		100		22		10		11.882		-0.472		-45.274		Yes		7/1/25 9:44		RTK		32		1.09		0.52		0.95		9267		-1339		Yes		RTK		3D		2.2		1814		0.948		0.362		0.551		2.029				WME		Water Meter

		UP119		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		119		7/1/25 9:45		3727'6.0650"N		796'11.8440"W		110.313		13764.961		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		33.18		100		-1		9		11.106		-2.654		-4.466		Yes		7/1/25 9:45		RTK		32		1.13		0.52		1		9228		-1339		Yes		RTK		3D		0.8		1814		1.05		0.672		0.866		2.493				WME		Water Meter

		UP120		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		120		7/1/25 9:45		3727'5.4410"N		796'12.6714"W		91.912		13856.873		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		9.05		100		-3		8		9.087		-2.122		40.635		Yes		7/1/25 9:45		RTK		32		1.08		0.51		0.95		9184		-1339		Yes		RTK		3D		1.2		1814		0.512		0.394		0.551		1.291				WME		Water Meter

		UP121		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		121		7/1/25 9:47		3727'5.0711"N		796'13.0605"W		48.884		13905.757		0		UNKNOWN		51		512		CLASSIC		OMNI PEAK		140		100		100		11		2		13.261		-0.379		-18.731		Yes		7/1/25 9:47		RTK		32		1.03		0.51		0.89		9150		-1339		Yes		RTK		3D		1.4		1814		0.472		0.287		0.394		1.106				WME		Water Meter

		UP122		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		122		7/1/25 9:51		3727'0.6612"N		796'9.8128"W		518.233		14423.99		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		3.956		100		1		9		21.239		-2.784		-74.57		Yes		7/1/25 9:52		FLOAT RTK		32		1.03		0.51		0.9		9012		-1339		Yes		FLOAT RTK		3D		1.4		1814		3.313		2.025		0.827		7.765				WME		Water Meter

		UP123		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		123		7/1/25 9:52		3727'1.8994"N		796'8.1681"W		182.55		14606.541		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		9.268		100		-1		12		19.139		3.399		34.329		Yes		7/1/25 9:53		RTK		32		1.02		0.5		0.89		9168		-1339		Yes		RTK		3D		1.2		1814		0.759		0.472		0.827		1.787				WME		Water Meter

		UP124		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		124		7/1/25 9:53		3727'2.8469"N		796'7.3665"W		115.793		14722.334		0		UNKNOWN		10		512		CLASSIC		OMNI PEAK		140		27.529		100		0		10		11.738		-4.495		68.226		Yes		7/1/25 9:53		RTK		32		1.04		0.5		0.91		9242		-1339		Yes		RTK		3D		1.2		1814		0.591		0.433		0.63		1.465				WME		Water Meter

		UP125		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		125		7/1/25 9:54		3727'3.6101"N		796'6.6807"W		95.109		14817.443		0		UNKNOWN		103		512		CLASSIC		OMNI PEAK		140		56.887		100		25		4		18.957		-4.587		-6.776		Yes		7/1/25 9:54		FLOAT RTK		32		1.06		0.51		0.92		9316		-1339		Yes		FLOAT RTK		3D		0.8		1814		4.417		3.681		0.984		11.5				WME		Water Meter

		UP126		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		126		7/1/25 9:54		3727'4.0883"N		796'6.1426"W		65.056		14882.499		0.003		UNKNOWN		1094		512		CLASSIC		OMNI PEAK		140		100		100		5		9		10.809		-5.394		3.441		Yes		7/1/25 9:54		RTK		31		0.98		0.49		0.85		9355		-1339		Yes		RTK		3D		1.8		1814		0.672		0.472		0.787		1.643				WME		Water Meter

		UP127		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		127		7/1/25 9:55		3727'5.0860"N		796'4.9850"W		137.608		15020.107		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		14.651		100		-3		10		16.365		0.576		77.47		Yes		7/1/25 9:55		RTK		32		1		0.51		0.86		9457		-1339		Yes		RTK		3D		0.8		1814		0.512		0.37		0.591		1.263				WME		Water Meter

		UP128		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		128		7/1/25 9:56		3727'5.5831"N		796'4.2346"W		78.718		15098.825		-0.001		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		-35		7		14.204		-8.124		-19.976		Yes		7/1/25 9:56		RTK		31		1.02		0.5		0.89		9483		-1339		Yes		RTK		3D		1.8		1814		1.05		0.85		0.827		2.702				WME		Water Meter

		UP129		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		129		7/1/25 9:56		3727'6.1779"N		796'3.3140"W		95.59		15194.415		0.002		UNKNOWN		483		512		CLASSIC		OMNI PEAK		140		100		100		-110		5		8.605		-1.487		-70.588		Yes		7/1/25 9:56		RTK		31		1.06		0.52		0.92		9540		-1339		Yes		RTK		3D		1.4		1814		1.05		0.472		0.748		2.303				WME		Water Meter

		UP130		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		130		7/1/25 9:57		3727'6.6541"N		796'2.3114"W		94.102		15288.517		0		UNKNOWN		7		512		CLASSIC		OMNI PEAK		140		100		100		0		13		5.849		2.527		-57.214		Yes		7/1/25 9:57		RTK		31		1.16		0.53		1.03		9581		-1339		Yes		RTK		3D		1.6		1814		0.551		0.366		0.669		1.323				WME		Water Meter

		UP131		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		131		7/1/25 9:58		3727'7.0691"N		796'0.8732"W		123.241		15411.758		0		UNKNOWN		84		512		CLASSIC		OMNI PEAK		140		100		100		0		12		14.516		-3.813		-13.32		Yes		7/1/25 9:58		RTK		30		1.22		0.58		1.08		9613		-1339		Yes		RTK		3D		1.6		1814		0.672		0.551		0.748		1.738				WME		Water Meter

		UP132		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		132		7/1/25 9:59		3727'7.8396"N		795'58.5186"W		205.111		15616.869		0		UNKNOWN		6		512		CLASSIC		OMNI PEAK		140		100		100		-7		6		17.946		-1.751		62.076		Yes		7/1/25 9:59		RTK		30		1.07		0.52		0.94		9647		-1339		Yes		RTK		3D		1.4		1814		0.85		0.85		0.787		2.405				WME		Water Meter

		UP133		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		133		7/1/25 9:59		3727'8.6141"N		795'56.9379"W		149.598		15766.466		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		7		5		14.58		-0.192		-61.723		Yes		7/1/25 9:59		FLOAT RTK		31		1.07		0.52		0.93		9651		-1339		Yes		FLOAT RTK		3D		1.4		1814		14.172		10.123		2.677		34.833				WME		Water Meter

		UP134		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		134		7/1/25 10:00		3727'8.6135"N		795'56.9360"W		0.167		15766.634		0		UNKNOWN		1		512		CLASSIC		OMNI PEAK		140		100		100		11		12		14.639		1.384		21.652		Yes		7/1/25 10:00		FLOAT RTK		31		1.11		0.53		0.97		9654		-1339		Yes		FLOAT RTK		3D		1		1814		13.62		9.203		2.52		32.875				WME		Water Meter

		UP135		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		135		7/1/25 10:01		3727'9.4655"N		795'55.1708"W		166.382		15933.016		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		33.836		100		13		10		5.729		-4.565		-53.256		Yes		7/1/25 10:01		RTK		32		1.11		0.55		0.97		9723		-1339		Yes		RTK		3D		0.8		1814		1.157		0.591		0.906		2.599				WME		Water Meter

		UP136		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		136		7/1/25 10:01		3727'9.8055"N		795'54.4013"W		70.922		16003.938		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		19.725		100		14		8		10.537		-3.274		-38.127		Yes		7/1/25 10:01		RTK		32		1.06		0.52		0.93		9748		-1339		Yes		RTK		3D		1.2		1814		1.157		0.591		0.866		2.599				WME		Water Meter

		UP137		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		137		7/1/25 10:02		3727'10.4485"N		795'53.2518"W		113.248		16117.186		0		UNKNOWN		14		512		CLASSIC		OMNI PEAK		140		100		100		0		6		8.647		-0.918		-26.505		Yes		7/1/25 10:02		RTK		32		1.06		0.52		0.92		9793		-1339		Yes		RTK		3D		1.8		1814		0.472		0.472		0.512		1.336				WME		Water Meter

		UP138		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		138		7/1/25 10:02		3727'10.8572"N		795'52.2380"W		91.58		16208.766		0		UNKNOWN		33		512		CLASSIC		OMNI PEAK		140		100		100		-4		11		6.44		-6.933		89.124		Yes		7/1/25 10:02		RTK		32		1.06		0.52		0.92		9825		-1339		Yes		RTK		3D		1.2		1814		0.948		0.512		0.669		2.154				WME		Water Meter

		UP139		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		139		7/1/25 10:03		3727'11.4820"N		795'50.9772"W		119.699		16328.465		0		UNKNOWN		21		512		CLASSIC		OMNI PEAK		140		100		100		10		9		10.221		-1.145		-44.693		Yes		7/1/25 10:03		FLOAT RTK		32		0.99		0.49		0.86		9798		-1339		Yes		FLOAT RTK		3D		1.6		1814		20.246		14.54		3.701		49.853				WME		Water Meter

		UP140		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		140		7/1/25 10:04		3727'11.9208"N		795'49.7468"W		108.628		16437.093		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		30.909		100		80		5		18.594		-2.57		65.72		Yes		7/1/25 10:04		FLOAT RTK		32		0.99		0.49		0.86		9854		-1339		Yes		FLOAT RTK		3D		1		1814		16.749		11.227		2.953		40.328				WME		Water Meter

		UP141		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		141		7/1/25 10:04		3727'12.4431"N		795'47.6412"W		177.662		16614.755		0		UNKNOWN		19		512		CLASSIC		OMNI PEAK		140		100		100		2		11		16.466		-3.427		-28.909		Yes		7/1/25 10:04		RTK		32		0.99		0.49		0.86		9996		-1339		Yes		RTK		3D		1.4		1814		1.388		0.85		0.827		3.256				WME		Water Meter

		UP142		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		142		7/1/25 10:05		3727'12.5291"N		795'46.7961"W		68.618		16683.372		0.002		UNKNOWN		483		512		CLASSIC		OMNI PEAK		140		100		100		44		11		14.341		-5.852		-83.152		Yes		7/1/25 10:05		RTK		32		0.97		0.49		0.84		10024		-1339		Yes		RTK		3D		0.8		1814		0.551		0.307		0.394		1.262				WME		Water Meter

		UP143		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		143		7/1/25 10:06		3727'12.5988"N		795'44.9918"W		145.489		16828.861		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		87.138		100		-21		7		17.073		-5.853		42.462		Yes		7/1/25 10:06		RTK		32		1.02		0.52		0.88		10066		-1339		Yes		RTK		3D		0.6		1814		0.672		0.433		0.591		1.599				WME		Water Meter

		UP144		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		144		7/1/25 10:06		3727'12.7258"N		795'43.7619"W		99.882		16928.743		0		UNKNOWN		28		512		CLASSIC		OMNI PEAK		140		100		100		0		10		16.41		-6.819		-34.648		Yes		7/1/25 10:06		RTK		32		1.03		0.52		0.89		10081		-1339		Yes		RTK		3D		1.6		1814		1.05		0.551		0.787		2.372				WME		Water Meter

		UP145		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		145		7/1/25 10:07		3727'12.7894"N		795'42.5991"W		93.875		17022.618		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		13.935		100		-58		10		19.68		-1.142		27.476		Yes		7/1/25 10:07		RTK		32		0.97		0.49		0.84		10074		-1339		Yes		RTK		3D		1		1814		0.551		0.394		0.472		1.355				WME		Water Meter

		UP146		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		146		7/1/25 10:07		3727'12.9622"N		795'41.5738"W		84.412		17107.03		0		UNKNOWN		20		512		CLASSIC		OMNI PEAK		140		100		100		10		7		11.083		-2.084		-1.349		Yes		7/1/25 10:07		RTK		32		1.01		0.51		0.87		10097		-1339		Yes		RTK		3D		1.2		1814		0.512		0.433		0.591		1.341				WME		Water Meter

		UP147		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		147		7/1/25 10:09		3727'12.3773"N		795'41.4135"W		60.727		17167.757		0		UNKNOWN		18		512		CLASSIC		OMNI PEAK		140		100		100		44		10		20.908		7.296		1.529		Yes		7/1/25 10:09		FLOAT RTK		30		1.1		0.55		0.96		10059		-1339		Yes		FLOAT RTK		3D		1.4		1814		4.969		2.945		0.984		11.553				WME		Water Meter

		UP148		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		148		7/1/25 10:10		3727'12.2752"N		795'42.7804"W		110.573		17278.33		0		UNKNOWN		4		512		CLASSIC		OMNI PEAK		140		100		100		28		13		13.466		-4.914		27.373		Yes		7/1/25 10:10		RTK		32		1.09		0.54		0.95		10061		-1339		Yes		RTK		3D		1.6		1814		0.394		0.311		0.433		1.003				WME		Water Meter

		UP149		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		149		7/1/25 10:11		3727'12.1626"N		795'44.5368"W		141.916		17420.246		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		41.003		100		-1		11		14.435		-4.968		-35.794		Yes		7/1/25 10:11		RTK		32		1.03		0.53		0.89		10057		-1339		Yes		RTK		3D		0.8		1814		0.551		0.394		0.63		1.355				WME		Water Meter

		UP150		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		150		7/1/25 10:12		3727'11.9089"N		795'46.8078"W		184.699		17604.945		-0.001		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		-1		8		13.324		0.122		78.703		Yes		7/1/25 10:12		RTK		32		1.14		0.57		0.98		10022		-1339		Yes		RTK		3D		1.4		1814		0.591		0.394		0.63		1.42				WME		Water Meter

		UP151		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		151		7/1/25 10:12		3727'11.7754"N		795'48.1306"W		107.388		17712.333		0		UNKNOWN		3		512		CLASSIC		OMNI PEAK		140		100		100		-3		11		12.272		-7.023		16.445		Yes		7/1/25 10:12		RTK		32		1.08		0.54		0.94		9968		-1339		Yes		RTK		3D		1.4		1814		0.759		0.433		0.63		1.747				WME		Water Meter

		UP152		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		152		7/1/25 10:13		3727'11.5512"N		795'49.0608"W		78.295		17790.628		0		UNKNOWN		39		512		CLASSIC		OMNI PEAK		140		100		100		-16		9		13.251		0.555		34.539		Yes		7/1/25 10:13		RTK		32		0.99		0.51		0.85		9921		-1339		Yes		RTK		3D		1		1814		0.759		0.512		0.551		1.83				WME		Water Meter

		UP153		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		153		7/1/25 10:14		3727'10.7632"N		795'51.1304"W		184.858		17975.487		0		UNKNOWN		32		512		CLASSIC		OMNI PEAK		140		100		100		0		11		15.815		-6.03		-11.967		Yes		7/1/25 10:14		RTK		32		0.98		0.51		0.84		9860		-1339		Yes		RTK		3D		1.4		1814		0.551		0.472		0.512		1.452				WME		Water Meter

		UP154		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		154		7/1/25 10:14		3727'10.3228"N		795'52.1036"W		90.213		18065.699		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		3		11		13.238		-4.37		19.649		Yes		7/1/25 10:14		RTK		32		1		0.51		0.86		9823		-1339		Yes		RTK		3D		1.8		1814		0.591		0.433		0.63		1.465				WME		Water Meter

		UP155		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		155		7/1/25 10:14		3727'9.7789"N		795'53.0789"W		95.997		18161.696		0		UNKNOWN		12		512		CLASSIC		OMNI PEAK		140		100		100		-4		6		0.332		-4.461		-13.353		Yes		7/1/25 10:14		DGPS SPS VALID		32		1.02		0.53		0.88		9772		-1339		Yes		DIFFERENTIAL		3D		0.8		1814		1.85		0.797		3.268		4.028				WME		Water Meter

		UP156		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		156		7/1/25 10:15		3727'9.8072"N		795'53.1626"W		7.324		18169.02		0.001		UNKNOWN		504		512		CLASSIC		OMNI PEAK		140		100		100		-9		11		11.465		-2.005		50.6		Yes		7/1/25 10:15		RTK		32		1.01		0.52		0.87		9771		-1339		Yes		RTK		3D		3.4		1814		0.512		0.382		0.433		1.277				WME		Water Meter

		UP157		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		157		7/1/25 10:15		3727'9.4229"N		795'53.9318"W		73.196		18242.216		0		UNKNOWN		43		512		CLASSIC		OMNI PEAK		140		100		100		-16		7		16.946		0.446		-45.902		Yes		7/1/25 10:15		RTK		32		0.94		0.48		0.81		9757		-1339		Yes		RTK		3D		0.8		1814		0.472		0.295		0.394		1.114				WME		Water Meter

		UP158		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		158		7/1/25 10:18		3727'6.1266"N		795'53.6650"W		335.099		18577.315		0		UNKNOWN		7		512		CLASSIC		OMNI PEAK		140		100		100		8		5		22.713		9.541		-80.135		Yes		7/1/25 10:18		RTK		32		1.05		0.52		0.91		9574		-1339		Yes		RTK		3D		1.4		1814		0.512		0.386		0.512		1.282				WME		Water Meter

		UP159		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		159		7/1/25 10:19		3727'7.8961"N		795'54.9401"W		206.813		18784.127		0		UNKNOWN		15		512		CLASSIC		OMNI PEAK		140		100		100		3		10		14.441		2.028		-6.56		Yes		7/1/25 10:19		RTK		32		1.08		0.56		0.92		9635		-1339		Yes		RTK		3D		1		1814		0.433		0.291		0.394		1.044				WME		Water Meter

		UP160		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		160		7/1/25 10:20		3727'7.3558"N		795'58.3935"W		283.476		19067.604		0		UNKNOWN		1		512		CLASSIC		OMNI PEAK		140		100		100		19		10		19.312		-0.12		1.524		Yes		7/1/25 10:20		RTK		32		1.01		0.51		0.87		9644		-1339		Yes		RTK		3D		1.4		1814		0.472		0.323		0.433		1.144				WME		Water Meter

		UP161		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		161		7/1/25 10:21		3727'6.9376"N		795'59.2764"W		82.803		19150.407		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		48.807		100		1		12		15.492		-1.556		-22.166		Yes		7/1/25 10:21		RTK		32		1.05		0.53		0.9		9626		-1339		Yes		RTK		3D		0.8		1814		0.948		0.512		0.669		2.154				WME		Water Meter

		UP162		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		162		7/1/25 10:22		3727'6.3041"N		796'1.4808"W		188.815		19339.222		0		UNKNOWN		35		512		CLASSIC		OMNI PEAK		140		100		100		1		9		9.08		0.898		3.427		Yes		7/1/25 10:22		RTK		32		1.13		0.58		0.98		9594		-1339		Yes		RTK		3D		1.4		1814		0.472		0.39		0.472		1.225				WME		Water Meter

		UP163		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		163		7/1/25 10:23		3727'4.8012"N		796'3.0515"W		198.112		19537.334		0		UNKNOWN		14		512		CLASSIC		OMNI PEAK		140		100		100		-4		10		14.783		5.717		-87.611		Yes		7/1/25 10:23		RTK		32		1.03		0.53		0.88		9496		-1339		Yes		RTK		3D		1.8		1814		0.551		0.433		0.591		1.402				WME		Water Meter

		UP164		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		164		7/1/25 10:25		3727'3.1532"N		796'2.1755"W		181.471		19718.805		0.001		UNKNOWN		72		512		CLASSIC		OMNI PEAK		140		100		100		21		4		17.296		-3.005		7.473		Yes		7/1/25 10:25		RTK		32		1.1		0.56		0.95		9344		-1339		Yes		RTK		3D		1.4		1814		0.591		0.433		0.512		1.465				WME		Water Meter

		UP165		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		165		7/1/25 10:25		3727'2.5167"N		796'1.0773"W		109.514		19828.319		-0.002		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		69.625		100		64		9		12.109		-6.611		84.579		Yes		7/1/25 10:25		RTK		32		1.08		0.56		0.92		9274		-1339		Yes		RTK		3D		1.2		1814		1.05		0.591		0.63		2.409				WME		Water Meter

		UP166		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		166		7/1/25 10:26		3727'2.4687"N		795'58.7194"W		189.959		20018.278		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		9		6		16.026		-4.836		-48.807		Yes		7/1/25 10:26		RTK		31		1.26		0.6		1.1		9244		-1339		Yes		RTK		3D		1.2		1814		0.759		0.512		0.787		1.83				WME		Water Meter

		UP167		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		167		7/1/25 10:27		3727'3.2151"N		795'56.1115"W		223.276		20241.554		0		UNKNOWN		6		512		CLASSIC		OMNI PEAK		140		100		100		4		12		14.124		-3.035		-41.313		Yes		7/1/25 10:27		RTK		32		1.06		0.54		0.91		9386		-1339		Yes		RTK		3D		1		1814		1.913		0.85		0.866		4.188				WME		Water Meter

		UP168		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		168		7/1/25 10:28		3727'3.3689"N		795'55.7141"W		35.603		20277.157		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		90.187		100		7		10		14.545		-4.354		-32.096		Yes		7/1/25 10:28		RTK		32		1.02		0.51		0.89		9419		-1339		Yes		RTK		3D		1.8		1814		0.672		0.512		0.551		1.689				WME		Water Meter

		UP169		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		169		7/1/25 10:29		3727'4.2332"N		795'53.7820"W		178.612		20455.768		0		UNKNOWN		2		512		CLASSIC		OMNI PEAK		140		100		100		0		10		12.805		-2.077		45.558		Yes		7/1/25 10:29		RTK		32		1.12		0.55		0.98		9488		-1339		Yes		RTK		3D		1.2		1814		0.512		0.433		0.591		1.341				WME		Water Meter

		UP170		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		170		7/1/25 10:29		3727'5.1345"N		795'51.8732"W		178.872		20634.64		0		UNKNOWN		40		512		CLASSIC		OMNI PEAK		140		100		100		-1		11		9.899		-8.437		8.77		Yes		7/1/25 10:29		RTK		32		0.96		0.48		0.83		9493		-1339		Yes		RTK		3D		1		1814		0.433		0.331		0.394		1.09				WME		Water Meter

		UP171		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		171		7/1/25 10:30		3727'6.2948"N		795'50.1208"W		183.785		20818.425		0		UNKNOWN		72		512		CLASSIC		OMNI PEAK		140		100		100		0		13		2.476		-1.936		35.367		Yes		7/1/25 10:30		RTK		32		1.04		0.53		0.89		9488		-1339		Yes		RTK		3D		1		1814		0.472		0.433		0.472		1.282				WME		Water Meter

		UP172		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		172		7/1/25 10:31		3727'6.9078"N		795'49.2488"W		93.803		20912.228		-0.004		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		-85		8		-0.856		-0.337		-0.849		Yes		7/1/25 10:31		RTK		32		0.99		0.5		0.86		9519		-1339		Yes		RTK		3D		1.6		1814		0.759		0.551		0.591		1.875				WME		Water Meter

		UP173		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		173		7/1/25 10:45		3727'8.5112"N		795'46.8231"W		254.213		21166.441		0		UNKNOWN		2		512		CLASSIC		OMNI PEAK		140		100		100		-2		8		25.881		-3.696		-57.805		Yes		7/1/25 10:45		RTK		32		1.08		0.53		0.94		9661		-1339		Yes		RTK		3D		1.8		1814		1.512		0.672		0.669		3.309				WME		Water Meter

		UP174		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		174		7/1/25 10:45		3727'8.5126"N		795'46.8237"W		0.145		21166.586		0		UNKNOWN		30		512		CLASSIC		OMNI PEAK		140		100		100		-1		12		24.708		-3.885		-60.274		Yes		7/1/25 10:45		RTK		32		1.08		0.53		0.94		9660		-1339		Yes		RTK		3D		3.2		1814		1.27		0.591		0.591		2.802				WME		Water Meter

		UP175		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		175		7/1/25 10:49		3727'8.8802"N		795'47.4019"W		59.655		21226.241		0		UNKNOWN		143		512		CLASSIC		OMNI PEAK		140		100		100		1		12		20.696		-0.084		-60.711		Yes		7/1/25 10:49		RTK		32		1.09		0.53		0.95		9683		-1339		Yes		RTK		3D		1.2		1814		0.672		0.551		0.512		1.738				WME		Water Meter

		UP176		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		176		7/1/25 10:50		3727'8.1233"N		795'48.5362"W		119.339		21345.58		0		UNKNOWN		125		512		CLASSIC		OMNI PEAK		140		88.634		100		-82		8		17.768		-1.887		49.813		Yes		7/1/25 10:50		RTK		32		1.05		0.52		0.92		9601		-1339		Yes		RTK		3D		0.6		1814		1.774		0.85		0.709		3.935				WME		Water Meter

		UP177		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		177		7/1/25 10:51		3727'7.4019"N		795'49.4163"W		101.887		21447.468		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		4.436		100		-11		4		12.611		-3.954		-34.451		Yes		7/1/25 10:51		RTK		32		0.99		0.5		0.85		9561		-1339		Yes		RTK		3D		1		1814		0.672		0.551		0.472		1.738				WME		Water Meter

		UP178		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		178		7/1/25 10:52		3727'6.4074"N		795'51.1183"W		170.203		21617.671		0		UNKNOWN		27		512		CLASSIC		OMNI PEAK		140		100		100		0		10		14.721		3.083		-67.273		Yes		7/1/25 10:52		RTK		32		0.98		0.49		0.84		9532		-1339		Yes		RTK		3D		0.8		1814		0.433		0.323		0.394		1.08				WME		Water Meter

		UP179		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		179		7/1/25 10:56		3727'2.8834"N		796'0.2637"W		818.733		22436.403		0		UNKNOWN		27		512		CLASSIC		OMNI PEAK		140		100		100		-7		6		23.045		-6.123		-30.607		Yes		7/1/25 10:56		RTK		32		0.99		0.51		0.86		9290		-1339		Yes		RTK		3D		1.6		1814		0.85		0.394		0.591		1.874				WME		Water Meter

		UP180		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		180		7/1/25 10:58		3727'4.3221"N		796'5.0441"W		411.744		22848.147		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		53.52		100		5		11		6.448		-2.761		-58.129		Yes		7/1/25 10:58		RTK		32		1.02		0.52		0.88		9409		-1339		Yes		RTK		3D		1.4		1814		0.472		0.394		0.394		1.23				WME		Water Meter

		UP181		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		181		7/1/25 11:00		3727'3.7383"N		796'5.6968"W		79.193		22927.34		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		9.563		100		-1		8		7.55		-6.494		73.475		Yes		7/1/25 11:00		RTK		32		1.06		0.53		0.92		9348		-1339		Yes		RTK		3D		1.2		1814		0.551		0.433		0.433		1.402				WME		Water Meter

		UP182		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		182		7/1/25 11:00		3727'2.7938"N		796'6.4644"W		114.031		23041.371		0		UNKNOWN		30		512		CLASSIC		OMNI PEAK		140		100		100		-22		9		2.041		-0.42		-42.181		Yes		7/1/25 11:01		RTK		32		1.01		0.51		0.87		9271		-1339		Yes		RTK		3D		0.6		1814		0.472		0.433		0.394		1.282				WME		Water Meter

		UP183		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		183		7/1/25 11:01		3727'1.9278"N		796'7.1581"W		104.122		23145.492		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		26.482		100		24		8		14.901		0.849		-47.182		Yes		7/1/25 11:01		RTK		30		1.03		0.51		0.89		9187		-1339		Yes		RTK		3D		1		1814		1.913		1.27		0.748		4.593				WME		Water Meter

		UP184		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		184		7/1/25 11:02		3727'0.7089"N		796'8.6579"W		172.862		23318.354		0		UNKNOWN		2		512		CLASSIC		OMNI PEAK		140		100		100		-3		12		15.992		-0.409		-53.634		Yes		7/1/25 11:02		RTK		32		1.01		0.5		0.88		9054		-1339		Yes		RTK		3D		1		1814		1.27		0.591		0.63		2.802				WME		Water Meter

		UP185		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		185		7/1/25 11:08		3726'56.3332"N		796'9.1341"W		445.564		23763.918		0		UNKNOWN		92		512		CLASSIC		OMNI PEAK		140		100		100		3		7		11.88		-5.398		-50.541		Yes		7/1/25 11:08		RTK		32		1		0.5		0.87		8988		-1339		Yes		RTK		3D		1.2		1814		0.591		0.433		0.394		1.465				WME		Water Meter

		UP186		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		186		7/1/25 11:09		3726'58.8712"N		796'10.0569"W		267.986		24031.904		0		UNKNOWN		6		512		CLASSIC		OMNI PEAK		140		100		100		0		8		30.847		4.153		-38.361		Yes		7/1/25 11:09		RTK		32		0.96		0.49		0.83		8881		-1339		Yes		RTK		3D		1.6		1814		0.512		0.394		0.394		1.291				WME		Water Meter

		UP187		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		187		7/1/25 11:10		3726'59.5220"N		796'10.5362"W		76.483		24108.388		0		UNKNOWN		93		512		CLASSIC		OMNI PEAK		140		100		100		-71		7		6.459		0.039		-59.93		Yes		7/1/25 11:10		RTK		32		1.03		0.53		0.89		8899		-1339		Yes		RTK		3D		1.2		1814		0.472		0.433		0.394		1.282				WME		Water Meter

		UP188		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		188		7/1/25 11:11		3727'0.6359"N		796'11.5933"W		141.488		24249.875		0		UNKNOWN		46		512		CLASSIC		OMNI PEAK		140		100		100		-19		6		1.3		-4.923		-8.639		Yes		7/1/25 11:11		RTK		32		0.98		0.5		0.85		8887		-1339		Yes		RTK		3D		1		1814		0.433		0.319		0.394		1.076				WME		Water Meter

		UP189		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		189		7/1/25 11:12		3727'1.3798"N		796'12.2712"W		93.148		24343.024		0		UNKNOWN		19		512		CLASSIC		OMNI PEAK		140		100		100		6		11		12.125		0.162		-24.419		Yes		7/1/25 11:12		RTK		32		0.95		0.49		0.82		8934		-1339		Yes		RTK		3D		1.6		1814		0.433		0.335		0.394		1.095				WME		Water Meter

		UP190		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		190		7/1/25 11:12		3727'1.9916"N		796'12.7770"W		74.237		24417.261		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		7.385		100		20		9		16.297		-3.544		-6.839		Yes		7/1/25 11:12		RTK		32		0.98		0.51		0.83		8974		-1339		Yes		RTK		3D		1		1814		0.512		0.433		0.394		1.341				WME		Water Meter

		UP191		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		191		7/1/25 11:13		3727'2.9760"N		796'13.5853"W		119.219		24536.48		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		3.714		100		21		12		16.376		-2.953		-17.695		Yes		7/1/25 11:13		RTK		32		0.95		0.49		0.81		9022		-1339		Yes		RTK		3D		0.6		1814		0.433		0.323		0.394		1.08				WME		Water Meter

		UP192		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		192		7/1/25 11:14		3727'3.8339"N		796'14.2583"W		102.529		24639.009		0		UNKNOWN		33		512		CLASSIC		OMNI PEAK		140		100		100		-5		10		12.735		-5.432		50.09		Yes		7/1/25 11:14		RTK		32		0.95		0.48		0.82		9022		-1339		Yes		RTK		3D		1.4		1814		0.85		0.591		0.512		2.071				WME		Water Meter

		UP193		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		193		7/1/25 11:14		3727'4.6767"N		796'14.9585"W		102.425		24741.434		0		UNKNOWN		31		512		CLASSIC		OMNI PEAK		140		100		100		3		8		9.008		-7.08		-12.215		Yes		7/1/25 11:14		RTK		32		1.04		0.51		0.9		9040		-1339		Yes		RTK		3D		1.2		1814		0.512		0.433		0.394		1.341				WME		Water Meter

		UP194		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		194		7/1/25 11:15		3727'5.7420"N		796'15.6877"W		123.004		24864.438		0		UNKNOWN		40		512		CLASSIC		OMNI PEAK		140		100		100		-8		4		12.984		-3.64		8.725		Yes		7/1/25 11:15		RTK		32		1.04		0.51		0.9		9004		-1339		Yes		RTK		3D		1.4		1814		0.759		0.433		0.394		1.747				WME		Water Meter

		UP195		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		195		7/1/25 11:15		3727'6.3794"N		796'16.2067"W		76.991		24941.429		0		UNKNOWN		7		512		CLASSIC		OMNI PEAK		140		100		100		6		5		15.534		-0.223		-81.326		Yes		7/1/25 11:15		RTK		32		1.09		0.54		0.95		8972		-1339		Yes		RTK		3D		0.8		1814		0.672		0.433		0.433		1.599				WME		Water Meter

		UP196		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		196		7/1/25 11:16		3727'7.7707"N		796'16.8876"W		151.429		25092.859		0		UNKNOWN		28		512		CLASSIC		OMNI PEAK		140		100		100		-5		5		8.74		-9.58		-0.766		Yes		7/1/25 11:16		RTK		32		0.96		0.5		0.82		8996		-1339		Yes		RTK		3D		0.8		1814		0.366		0.272		0.394		0.912				WME		Water Meter

		UP197		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		197		7/1/25 11:16		3727'8.4722"N		796'17.2254"W		76.192		25169.05		0		UNKNOWN		46		512		CLASSIC		OMNI PEAK		140		100		100		1		12		11.47		-2.507		83.358		Yes		7/1/25 11:16		RTK		32		0.96		0.51		0.81		8993		-1339		Yes		RTK		3D		0.6		1814		0.948		0.512		0.512		2.154				WME		Water Meter

		UP198		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		198		7/1/25 11:17		3727'9.4524"N		796'17.6652"W		105.564		25274.615		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		99.293		100		17		5		16.225		-1.492		-16.668		Yes		7/1/25 11:18		RTK		32		0.95		0.49		0.81		9022		-1339		Yes		RTK		3D		1.4		1814		0.591		0.472		0.433		1.513				WME		Water Meter

		UP199		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		199		7/1/25 11:18		3727'10.3777"N		796'18.1211"W		100.79		25375.404		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		33.054		100		1		12		6.58		-8.086		52.534		Yes		7/1/25 11:18		RTK		32		0.98		0.51		0.83		9048		-1339		Yes		RTK		3D		1.6		1814		0.512		0.35		0.394		1.241				WME		Water Meter

		UP200		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		200		7/1/25 11:19		3727'11.4447"N		796'18.6149"W		115.329		25490.734		0		UNKNOWN		43		512		CLASSIC		OMNI PEAK		140		100		100		28		11		10.487		-3.196		10.601		Yes		7/1/25 11:19		RTK		32		0.97		0.51		0.83		9082		-1339		Yes		RTK		3D		1.2		1814		0.759		0.433		0.433		1.747				WME		Water Meter

		UP201		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		201		7/1/25 11:19		3727'12.3129"N		796'19.0800"W		95.71		25586.444		0		UNKNOWN		30		512		CLASSIC		OMNI PEAK		140		100		100		11		6		13.845		-1.099		-44.338		Yes		7/1/25 11:19		RTK		32		0.94		0.49		0.8		9122		-1339		Yes		RTK		3D		2		1814		0.472		0.327		0.394		1.149				WME		Water Meter

		UP202		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		202		7/1/25 11:19		3727'12.9981"N		796'19.3992"W		74.116		25660.56		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		25.873		100		1		9		9.576		-0.821		-25.346		Yes		7/1/25 11:19		RTK		31		0.97		0.51		0.82		9165		-1339		Yes		RTK		3D		1.2		1814		0.551		0.39		0.394		1.35				WME		Water Meter

		UP203		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		203		7/1/25 11:21		3727'13.5275"N		796'20.0194"W		73.339		25733.899		0		UNKNOWN		3		512		CLASSIC		OMNI PEAK		140		100		100		0		9		18.887		-0.684		45.991		Yes		7/1/25 11:21		RTK		31		0.98		0.5		0.84		9167		-1339		Yes		RTK		3D		1.4		1814		0.472		0.382		0.394		1.215				WME		Water Meter

		UP204		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		204		7/1/25 11:22		3727'15.1353"N		796'20.4064"W		166.066		25899.965		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		-23		10		36.353		-3.396		76.068		Yes		7/1/25 11:22		RTK		32		0.92		0.49		0.77		9180		-1339		Yes		RTK		3D		1.2		1814		0.759		0.472		0.433		1.787				WME		Water Meter

		UP205		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		205		7/1/25 11:23		3727'15.3956"N		796'20.6034"W		30.81		25930.775		0.002		UNKNOWN		80		512		CLASSIC		OMNI PEAK		140		100		100		-50		11		15.271		-1.075		-66.655		Yes		7/1/25 11:23		RTK		32		0.9		0.48		0.77		9164		-1339		Yes		RTK		3D		1.6		1814		0.327		0.248		0.394		0.82				WME		Water Meter

		UP206		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		206		7/1/25 11:23		3727'16.1851"N		796'20.7216"W		80.658		26011.433		0		UNKNOWN		22		512		CLASSIC		OMNI PEAK		140		100		100		-18		10		9.447		-6.75		87.134		Yes		7/1/25 11:23		RTK		32		0.9		0.48		0.77		9212		-1339		Yes		RTK		3D		1		1814		0.472		0.331		0.394		1.153				WME		Water Meter

		UP207		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		207		7/1/25 11:23		3727'16.8505"N		796'20.5670"W		68.639		26080.072		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		36.872		100		-39		5		15.985		-8.392		-29.82		Yes		7/1/25 11:24		RTK		32		0.91		0.49		0.77		9266		-1339		Yes		RTK		3D		0.8		1814		0.394		0.276		0.394		0.961				WME		Water Meter

		UP208		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		208		7/1/25 11:24		3727'17.6726"N		796'20.2412"W		87.43		26167.502		-0.004		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		-14		5		11.134		-2.38		1.964		Yes		7/1/25 11:24		RTK		32		0.9		0.49		0.76		9303		-1339		Yes		RTK		3D		1.6		1814		0.433		0.287		0.394		1.04				WME		Water Meter

		UP209		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		209		7/1/25 11:25		3727'18.1534"N		796'19.9965"W		52.608		26220.11		0.001		UNKNOWN		131		512		CLASSIC		OMNI PEAK		140		100		100		17		2		7.575		-8.457		-82.788		Yes		7/1/25 11:25		RTK		32		0.95		0.49		0.81		9320		-1339		Yes		RTK		3D		0.8		1814		0.433		0.323		0.394		1.08				WME		Water Meter

		UP210		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		210		7/1/25 11:25		3727'18.9012"N		796'19.2602"W		96.296		26316.406		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		40.585		100		28		5		17.739		-6.018		-71.729		Yes		7/1/25 11:25		RTK		32		0.95		0.48		0.82		9390		-1339		Yes		RTK		3D		0.6		1814		0.472		0.37		0.394		1.2				WME		Water Meter

		UP211		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		211		7/1/25 11:26		3727'19.4829"N		796'18.7309"W		72.796		26389.202		0		UNKNOWN		48		512		CLASSIC		OMNI PEAK		140		100		100		38		10		18.533		0.135		-63.215		Yes		7/1/25 11:26		RTK		32		0.88		0.46		0.75		9412		-1339		Yes		RTK		3D		1		1814		0.759		0.433		0.394		1.747				WME		Water Meter

		UP212		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		212		7/1/25 11:26		3727'20.1177"N		796'18.1579"W		79.231		26468.432		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		47.46		100		-4		8		14.723		-3.834		61.555		Yes		7/1/25 11:26		RTK		32		0.88		0.46		0.75		9411		-1339		Yes		RTK		3D		1		1814		0.551		0.394		0.394		1.355				WME		Water Meter

		UP213		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		213		7/1/25 12:32		3727'7.9558"N		795'47.1203"W		2787.562		29255.994		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		3.701		100		-37		8		9.01		0.783		-60.271		Yes		7/1/25 12:32		FLOAT RTK		28		1.24		0.69		1.02		9791		-1339		Yes		FLOAT RTK		3D		1.4		2001		69.941		47.854		8.661		169.491				WME		Water Meter

		UP214		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		214		7/1/25 12:44		3726'58.2757"N		795'48.2374"W		986.163		30242.158		0		UNKNOWN		15		512		CLASSIC		OMNI PEAK		140		100		100		-8		7		17.571		-9.66		-17.151		Yes		7/1/25 12:44		RTK		32		1.15		0.6		0.98		9846		-1339		Yes		RTK		3D		1.8		2001		0.394		0.394		0.394		1.114				WME		Water Meter

		UP215		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		215		7/1/25 12:45		3726'57.0564"N		795'48.5361"W		126.023		30368.181		0		UNKNOWN		15		512		CLASSIC		OMNI PEAK		140		100		100		3		6		10.145		0.576		24.629		Yes		7/1/25 12:45		RTK		31		1.33		0.66		1.16		9747		-1339		Yes		RTK		3D		0.8		2001		0.394		0.358		0.394		1.065				WME		Water Meter

		UP216		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		216		7/1/25 12:48		3726'54.8010"N		795'44.7909"W		378.603		30746.784		0.001		UNKNOWN		42		512		CLASSIC		OMNI PEAK		140		100		100		-11		6		13.766		-5.373		38.721		Yes		7/1/25 12:48		RTK		31		1.14		0.61		0.96		9543		-1339		Yes		RTK		3D		0.8		2001		0.591		0.512		0.512		1.563				WME		Water Meter

		UP217		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		217		7/1/25 12:49		3726'54.7744"N		795'43.5920"W		96.603		30843.387		0.001		UNKNOWN		184		512		CLASSIC		OMNI PEAK		140		100		100		-61		9		9.044		-0.782		9.531		Yes		7/1/25 12:49		RTK		32		1.19		0.63		1.01		9526		-1339		Yes		RTK		3D		1		2001		0.759		0.512		0.591		1.83				WME		Water Meter

		UP218		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		218		7/1/25 12:51		3726'55.0249"N		795'46.2014"W		211.698		31055.085		0.001		UNKNOWN		188		512		CLASSIC		OMNI PEAK		140		100		100		-46		8		5.127		-5.249		-16.965		Yes		7/1/25 12:51		RTK		32		1.17		0.62		0.99		9573		-1339		Yes		RTK		3D		0.6		2001		2.858		1.774		1.063		6.728				WME		Water Meter

		UP219		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		219		7/1/25 12:53		3726'54.1215"N		795'43.4303"W		241.274		31296.359		0		UNKNOWN		31		512		CLASSIC		OMNI PEAK		140		100		100		-24		13		8.581		8.254		6.102		Yes		7/1/25 12:53		RTK		32		1.09		0.58		0.92		9494		-1339		Yes		RTK		3D		0.6		2001		1.05		0.672		0.591		2.493				WME		Water Meter

		UP220		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		220		7/1/25 12:54		3726'54.3139"N		795'45.3577"W		156.461		31452.82		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		1		11		18.922		-0.296		-38.731		Yes		7/1/25 12:54		RTK		32		1.2		0.64		1.01		9516		-1339		Yes		RTK		3D		0.8		2001		0.948		0.512		0.591		2.154				WME		Water Meter

		UP221		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		221		7/1/25 12:58		3726'50.7614"N		795'48.7665"W		453.06		31905.88		0		UNKNOWN		36		512		CLASSIC		OMNI PEAK		140		100		100		2		11		18.743		0.346		28.161		Yes		7/1/25 12:58		RTK		32		1.17		0.63		0.98		9218		-1339		Yes		RTK		3D		1.2		2001		2.522		1.388		0.945		5.758				WME		Water Meter

		UP222		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		222		7/1/25 13:00		3726'50.6850"N		795'46.9346"W		147.751		32053.631		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		48.272		100		9		5		5.931		-0.801		-47.69		Yes		7/1/25 13:00		RTK		31		1.09		0.59		0.91		9219		-1339		Yes		RTK		3D		0.8		2001		0.512		0.472		0.433		1.393				WME		Water Meter

		UP223		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		223		7/1/25 13:01		3726'50.6119"N		795'45.7431"W		96.25		32149.881		0		UNKNOWN		36		512		CLASSIC		OMNI PEAK		140		100		100		-33		10		17.811		-3.607		-88.513		Yes		7/1/25 13:01		RTK		31		1.26		0.63		1.09		9203		-1339		Yes		RTK		3D		1.4		2001		0.85		0.759		0.551		2.279				WME		Water Meter

		UP224		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		224		7/1/25 13:01		3726'50.2330"N		795'45.5355"W		41.921		32191.802		0		UNKNOWN		13		512		CLASSIC		OMNI PEAK		140		100		100		-9		8		1.869		-9.013		14.512		Yes		7/1/25 13:01		RTK		32		1.08		0.59		0.91		9194		-1339		Yes		RTK		3D		1.4		2001		0.759		0.512		0.512		1.83				WME		Water Meter

		UP225		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		225		7/1/25 13:02		3726'49.9302"N		795'45.5881"W		31.015		32222.817		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		52.343		100		16		10		20.13		-2.899		-11.905		Yes		7/1/25 13:03		RTK		32		1.07		0.59		0.9		9172		-1339		Yes		RTK		3D		1.2		2001		0.591		0.512		0.512		1.563				WME		Water Meter

		UP226		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		226		7/1/25 13:03		3726'49.5443"N		795'45.9615"W		49.366		32272.183		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		87.299		100		-29		6		10.964		0.004		-76.82		Yes		7/1/25 13:03		RTK		31		1.17		0.63		0.98		9150		-1339		Yes		RTK		3D		1		2001		0.472		0.343		0.394		1.167				WME		Water Meter

		UP227		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		227		7/1/25 13:12		3726'50.3983"N		795'49.8149"W		322.23		32594.413		-0.042		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		92.739		100		-35		7		18.865		-1.692		-51.49		Yes		7/1/25 13:12		RTK		32		1.16		0.62		0.98		9191		-1339		Yes		RTK		3D		1		2001		0.759		0.591		0.512		1.923				WME		Water Meter

		UP228		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		228		7/1/25 13:12		3726'50.3981"N		795'49.8141"W		0.067		32594.48		0		UNKNOWN		48		512		CLASSIC		OMNI PEAK		140		100		100		0		11		22.634		-2.903		-64.9		Yes		7/1/25 13:12		RTK		32		1.16		0.62		0.98		9191		-1339		Yes		RTK		3D		1.2		2001		0.759		0.591		0.512		1.923				WME		Water Meter

		UP229		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		229		7/1/25 13:18		3726'49.6707"N		795'52.5509"W		232.453		32826.933		-0.001		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		0		12		16.679		-2.937		26.03		Yes		7/1/25 13:18		RTK		32		1.16		0.63		0.97		9089		-1339		Yes		RTK		3D		1		2001		0.433		0.366		0.394		1.134				WME		Water Meter

		UP230		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		230		7/1/25 13:23		3726'49.4372"N		795'54.0083"W		119.754		32946.687		0		UNKNOWN		15		512		CLASSIC		OMNI PEAK		140		100		100		-54		4		16.369		-9.771		-41.08		Yes		7/1/25 13:23		RTK		32		1.28		0.68		1.09		9094		-1339		Yes		RTK		3D		1.6		2001		0.672		0.472		0.472		1.643				WME		Water Meter

		UP231		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		231		7/1/25 13:24		3726'49.3125"N		795'54.4095"W		34.699		32981.386		0		UNKNOWN		31		512		CLASSIC		OMNI PEAK		140		100		100		-14		7		12.916		-2.882		-73.576		Yes		7/1/25 13:24		RTK		31		1.28		0.68		1.08		9079		-1339		Yes		RTK		3D		1.2		2001		0.672		0.512		0.472		1.689				WME		Water Meter

		UP232		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		232		7/1/25 13:29		3726'48.9448"N		795'55.8115"W		118.922		33100.308		-0.001		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		-3		10		24.326		1.607		27.319		Yes		7/1/25 13:29		RTK		32		1.26		0.69		1.05		8993		-1339		Yes		RTK		3D		1.4		2001		0.759		0.551		0.551		1.875				WME		Water Meter

		UP233		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		233		7/1/25 13:31		3726'48.5257"N		795'57.9466"W		177.145		33277.453		0		UNKNOWN		150		512		CLASSIC		OMNI PEAK		140		100		100		-12		8		11.544		-0.103		15.844		Yes		7/1/25 13:31		RTK		31		1.23		0.68		1.02		8979		-1339		Yes		RTK		3D		1.4		2001		0.551		0.335		0.394		1.29				WME		Water Meter

		UP234		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		234		7/1/25 13:31		3726'48.4041"N		795'58.3450"W		34.378		33311.831		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		10		7		11.767		-6.24		15.461		Yes		7/1/25 13:31		RTK		32		1.23		0.68		1.02		8994		-1339		Yes		RTK		3D		1.6		2001		0.672		0.551		0.512		1.738				WME		Water Meter

		UP235		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		235		7/1/25 13:32		3726'48.0200"N		796'0.1728"W		152.291		33464.122		0.001		UNKNOWN		33		512		CLASSIC		OMNI PEAK		140		100		100		-1		6		15.739		-2.695		-23.043		Yes		7/1/25 13:32		RTK		32		1.4		0.75		1.19		8951		-1339		Yes		RTK		3D		1.2		2001		0.591		0.512		0.512		1.563				WME		Water Meter

		UP236		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		236		7/1/25 13:33		3726'47.7360"N		796'1.5415"W		113.941		33578.063		0		UNKNOWN		36		512		CLASSIC		OMNI PEAK		140		100		100		7		5		22.673		-0.742		-14.539		Yes		7/1/25 13:33		RTK		31		1.45		0.78		1.22		8892		-1339		Yes		RTK		3D		1.4		2001		0.472		0.433		0.472		1.282				WME		Water Meter

		UP237		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		237		7/1/25 13:35		3726'47.1571"N		796'4.4439"W		241.032		33819.095		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		9.626		100		18		7		12.953		7.454		22.312		Yes		7/1/25 13:35		RTK		32		1.23		0.7		1.02		8880		-1339		Yes		RTK		3D		1		2001		0.591		0.591		0.551		1.67				WME		Water Meter

		UP238		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		238		7/1/25 13:37		3726'47.2324"N		796'5.3377"W		72.397		33891.492		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		46.933		100		6		10		15.765		0.595		-47.662		Yes		7/1/25 13:37		RTK		32		1.27		0.73		1.03		8907		-1339		Yes		RTK		3D		1.4		2001		1.27		0.948		0.669		3.17				WME		Water Meter

		UP239		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		239		7/1/25 13:39		3726'47.8337"N		796'5.6543"W		66.117		33957.608		0		UNKNOWN		53		512		CLASSIC		OMNI PEAK		140		100		100		-62		9		9.952		-1.664		67.843		Yes		7/1/25 13:39		RTK		32		1.4		0.77		1.17		8959		-1339		Yes		RTK		3D		0.8		2001		0.85		0.672		0.591		2.168				WME		Water Meter

		UP240		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		240		7/1/25 13:39		3726'47.8703"N		796'5.5396"W		9.955		33967.563		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		16.924		100		-97		7		14.892		-1.656		55.34		Yes		7/1/25 13:39		RTK		31		1.4		0.77		1.17		8956		-1339		Yes		RTK		3D		1.6		2001		0.672		0.512		0.472		1.689				WME		Water Meter

		UP241		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		241		7/1/25 13:41		3726'48.0822"N		796'3.1961"W		189.973		34157.536		0		UNKNOWN		79		512		CLASSIC		OMNI PEAK		140		79.652		100		9		5		15.926		1.782		36.135		Yes		7/1/25 13:41		RTK		32		1.4		0.77		1.17		8914		-1339		Yes		RTK		3D		1.2		2001		0.551		0.472		0.433		1.452				WME		Water Meter

		UP242		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		242		7/1/25 13:42		3726'48.3327"N		796'1.8870"W		108.461		34265.997		0		UNKNOWN		11		512		CLASSIC		OMNI PEAK		140		100		100		-16		7		6.379		5.174		-84.379		Yes		7/1/25 13:42		RTK		32		1.63		0.81		1.41		8930		-1339		Yes		RTK		3D		1.6		2001		1.388		0.85		0.787		3.256				WME		Water Meter

		UP243		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		243		7/1/25 13:43		3726'48.6048"N		796'1.0152"W		75.45		34341.447		0		UNKNOWN		79		512		CLASSIC		OMNI PEAK		140		100		100		2		5		19.551		1.861		-0.776		Yes		7/1/25 13:43		RTK		32		1.63		0.81		1.41		8976		-1339		Yes		RTK		3D		2		2001		2.058		1.05		0.866		4.62				WME		Water Meter

		UP244		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		244		7/1/25 13:43		3726'48.8303"N		795'59.3859"W		133.209		34474.656		0		UNKNOWN		206		512		CLASSIC		OMNI PEAK		140		100		100		-11		10		20.859		8.186		4.5		Yes		7/1/25 13:44		RTK		32		1.63		0.81		1.41		9026		-1339		Yes		RTK		3D		1.2		2001		0.759		0.472		0.512		1.787				WME		Water Meter

		UP245		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		245		7/1/25 13:46		3726'49.4093"N		795'57.0426"W		197.663		34672.319		0.001		UNKNOWN		57		512		CLASSIC		OMNI PEAK		140		100		100		2		4		21.48		4.854		4.225		Yes		7/1/25 13:46		RTK		31		1.62		0.82		1.4		9093		-1339		Yes		RTK		3D		1		2001		1.388		0.759		0.709		3.164				WME		Water Meter

		UP246		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		246		7/1/25 13:50		3726'49.4503"N		795'56.8565"W		15.559		34687.878		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		87.651		100		4		12		13.364		-6.656		-37.043		Yes		7/1/25 13:50		RTK		32		1.62		0.83		1.39		9098		-1339		Yes		RTK		3D		1.6		2001		1.388		0.672		0.709		3.085				WME		Water Meter

		UP247		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		247		7/1/25 13:53		3726'49.9894"N		795'54.3371"W		210.163		34898.041		-0.002		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		26		8		27.656		-0.964		-11.842		Yes		7/1/25 13:53		FLOAT RTK		32		1.14		0.67		0.92		9133		-1339		Yes		FLOAT RTK		3D		1.6		2001		5.89		4.601		0.906		14.948				WME		Water Meter

		UP248		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		248		7/1/25 13:54		3726'50.2247"N		795'53.2927"W		87.437		34985.478		0		UNKNOWN		139		512		CLASSIC		OMNI PEAK		140		100		100		1		9		19.321		3.014		-0.303		Yes		7/1/25 13:54		RTK		32		1.14		0.67		0.92		9128		-1339		Yes		RTK		3D		1.2		2001		0.551		0.394		0.394		1.355				WME		Water Meter

		UP249		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		249		7/1/25 13:58		3726'52.1817"N		795'50.4977"W		300.158		35285.636		0		UNKNOWN		23		512		CLASSIC		OMNI PEAK		140		100		100		7		10		20.019		-0.197		47.836		Yes		7/1/25 13:58		RTK		32		1.21		0.71		0.99		9295		-1339		Yes		RTK		3D		2		2001		3.034		1.913		1.142		7.174				WME		Water Meter

		UP250		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		250		7/1/25 14:01		3726'53.6365"N		795'50.0816"W		151.345		35436.98		-0.068		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		-20		3		16.197		2.796		-34		Yes		7/1/25 14:01		RTK		32		1.52		0.83		1.28		9431		-1339		Yes		RTK		3D		1.6		2001		2.058		0.759		0.787		4.386				WME		Water Meter

		UP251		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		251		7/1/25 14:01		3726'55.0579"N		795'49.8258"W		145.672		35582.652		0		UNKNOWN		69		512		CLASSIC		OMNI PEAK		140		100		100		26		7		11.557		6.359		45.68		Yes		7/1/25 14:01		RTK		32		1.3		0.76		1.05		9575		-1339		Yes		RTK		3D		0.6		2001		1.512		0.759		0.709		3.383				WME		Water Meter

		UP252		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		252		7/1/25 14:02		3726'56.5127"N		795'49.3960"W		151.596		35734.248		0.057		UNKNOWN		12704		512		CLASSIC		OMNI PEAK		140		100		100		29		5		22.388		8.196		-1.261		Yes		7/1/25 14:02		RTK		32		1.15		0.71		0.91		9717		-1339		Yes		RTK		3D		1.4		2001		0.948		0.433		0.512		2.084				WME		Water Meter

		UP253		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		253		7/1/25 14:41		3726'58.6185"N		795'50.6039"W		234.74		35968.988		0		UNKNOWN		82		512		CLASSIC		OMNI PEAK		140		100		100		-25		10		11.812		-2.238		35.318		Yes		7/1/25 14:41		RTK		30		1.26		0.67		1.06		9867		-1339		Yes		RTK		3D		1.2		2001		0.759		0.512		0.472		1.83				WME		Water Meter

		UP254		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		254		7/1/25 14:42		3726'58.8124"N		795'52.2367"W		132.97		36101.958		0		UNKNOWN		24		512		CLASSIC		OMNI PEAK		140		100		100		8		9		19.342		-0.026		3.567		Yes		7/1/25 14:42		RTK		30		1.2		0.65		1.02		9770		-1339		Yes		RTK		3D		0.6		2001		0.672		0.472		0.472		1.643				WME		Water Meter

		UP255		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		255		7/1/25 14:44		3726'56.2771"N		795'54.4284"W		311.949		36413.907		0		UNKNOWN		3		512		CLASSIC		OMNI PEAK		140		100		100		-1		9		27.096		-2.681		-68.604		Yes		7/1/25 14:44		RTK		31		1.16		0.63		0.98		9666		-1339		Yes		RTK		3D		1.6		2001		1.05		0.672		0.669		2.493				WME		Water Meter

		UP256		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		256		7/1/25 14:44		3726'56.2357"N		795'54.3991"W		4.819		36418.726		0		UNKNOWN		8		512		CLASSIC		OMNI PEAK		140		100		100		1		11		20.428		-0.997		17.389		Yes		7/1/25 14:44		RTK		31		1.16		0.63		0.98		9662		-1339		Yes		RTK		3D		3		2001		0.672		0.472		0.472		1.643				WME		Water Meter

		UP257		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		257		7/1/25 14:45		3726'54.7167"N		795'54.9169"W		159.645		36578.37		-0.001		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		18		8		13.546		-2.583		-56.781		Yes		7/1/25 14:45		RTK		32		1.17		0.63		0.98		9601		-1339		Yes		RTK		3D		1		2001		0.948		0.472		0.551		2.118				WME		Water Meter

		UP258		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		258		7/1/25 14:46		3726'53.6100"N		795'56.4093"W		164.479		36742.85		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		24.462		100		-10		7		32.009		-6.944		-41.901		Yes		7/1/25 14:46		RTK		32		1.17		0.63		0.98		9538		-1339		Yes		RTK		3D		0.8		2001		0.591		0.472		0.433		1.513				WME		Water Meter

		UP259		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		259		7/1/25 14:47		3726'53.2210"N		795'57.8952"W		126.013		36868.863		0		UNKNOWN		6		512		CLASSIC		OMNI PEAK		140		100		100		4		12		16.711		-3.769		-3.222		Yes		7/1/25 14:47		RTK		31		1.36		0.66		1.19		9451		-1339		Yes		RTK		3D		1		2001		0.512		0.394		0.394		1.291				WME		Water Meter

		UP260		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		260		7/1/25 14:47		3726'52.8415"N		795'59.7190"W		151.855		37020.717		0		UNKNOWN		16		512		CLASSIC		OMNI PEAK		140		100		100		-25		8		16.982		-1.093		-28.94		Yes		7/1/25 14:47		RTK		31		1.36		0.66		1.19		9364		-1339		Yes		RTK		3D		1		2001		0.759		0.672		0.591		2.027				WME		Water Meter

		UP261		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		261		7/1/25 14:49		3726'52.3491"N		796'2.1430"W		201.526		37222.243		0.003		UNKNOWN		554		512		CLASSIC		OMNI PEAK		140		100		100		0		10		8.665		-3.208		8.694		Yes		7/1/25 14:49		RTK		32		1.26		0.64		1.09		9276		-1339		Yes		RTK		3D		1.4		2001		0.512		0.394		0.394		1.291				WME		Water Meter

		UP262		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		262		7/1/25 14:49		3726'52.0459"N		796'3.2323"W		92.969		37315.213		0		UNKNOWN		4		512		CLASSIC		OMNI PEAK		140		100		100		-1		9		12.41		2.6		13.667		Yes		7/1/25 14:49		RTK		32		1.26		0.64		1.09		9248		-1339		Yes		RTK		3D		1.2		2001		0.759		0.591		0.512		1.923				WME		Water Meter

		UP263		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		263		7/1/25 14:50		3726'51.6887"N		796'5.0775"W		152.967		37468.18		0		UNKNOWN		12		512		CLASSIC		OMNI PEAK		140		100		100		0		8		13.426		3.011		59.038		Yes		7/1/25 14:50		RTK		31		1.36		0.66		1.19		9179		-1339		Yes		RTK		3D		0.8		2001		0.512		0.394		0.394		1.291				WME		Water Meter

		UP264		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		264		7/1/25 14:51		3726'51.0184"N		796'7.0720"W		174.44		37642.621		0.001		UNKNOWN		287		512		CLASSIC		OMNI PEAK		140		100		100		28		4		12.386		-5.907		38.674		Yes		7/1/25 14:51		RTK		30		1.23		0.63		1.06		9023		-1339		Yes		RTK		3D		1.4		2001		1.512		0.85		0.787		3.469				WME		Water Meter

		UP265		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		265		7/1/25 14:51		3726'51.0714"N		796'7.3599"W		23.807		37666.428		0		UNKNOWN		33		512		CLASSIC		OMNI PEAK		140		100		100		3		10		7.724		0.417		8.965		Yes		7/1/25 14:51		RTK		32		1.15		0.6		0.97		9008		-1339		Yes		RTK		3D		1.6		2001		0.85		0.512		0.472		1.985				WME		Water Meter

		UP266		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		266		7/1/25 14:52		3726'51.6684"N		796'7.6577"W		65.137		37731.564		0		UNKNOWN		25		512		CLASSIC		OMNI PEAK		140		100		100		-8		8		16.459		0.256		-48.36		Yes		7/1/25 14:52		RTK		32		1.15		0.6		0.98		9002		-1339		Yes		RTK		3D		1.4		2001		0.85		0.591		0.512		2.071				WME		Water Meter

		UP267		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		267		7/1/25 14:53		3726'52.1682"N		796'5.6114"W		172.442		37904.006		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		16.855		100		11		7		15.264		-2.427		-7.361		Yes		7/1/25 14:53		RTK		31		1.15		0.6		0.98		9150		-1339		Yes		RTK		3D		1.6		2001		0.85		0.672		0.472		2.168				WME		Water Meter

		UP268		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		268		7/1/25 14:54		3726'52.5708"N		796'3.2599"W		193.748		38097.754		0		UNKNOWN		1		512		CLASSIC		OMNI PEAK		140		100		100		8		5		11.26		-2.982		38.113		Yes		7/1/25 14:54		RTK		32		1.09		0.58		0.92		9265		-1339		Yes		RTK		3D		1.4		2001		0.472		0.472		0.394		1.336				WME		Water Meter

		UP269		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		269		7/1/25 14:54		3726'53.0849"N		796'1.1479"W		177.915		38275.669		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		41.044		100		26		9		15.941		-7.898		-15.536		Yes		7/1/25 14:55		RTK		32		1.15		0.6		0.98		9315		-1339		Yes		RTK		3D		2		2001		0.551		0.472		0.394		1.452				WME		Water Meter

		UP270		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		270		7/1/25 14:55		3726'53.4358"N		795'59.4827"W		138.767		38414.436		0		UNKNOWN		1		512		CLASSIC		OMNI PEAK		140		100		100		-3		11		18.84		0.693		-11.756		Yes		7/1/25 14:55		RTK		32		1.17		0.6		1		9388		-1339		Yes		RTK		3D		1.8		2001		0.394		0.331		0.394		1.028				WME		Water Meter

		UP271		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		271		7/1/25 14:56		3726'53.7245"N		795'58.2556"W		103.078		38517.514		0		UNKNOWN		21		512		CLASSIC		OMNI PEAK		140		100		100		9		10		17.077		-5.199		-72.556		Yes		7/1/25 14:56		RTK		32		1.23		0.62		1.06		9446		-1339		Yes		RTK		3D		1.4		2001		1.388		1.157		0.748		3.615				WME		Water Meter

		UP272		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		272		7/1/25 14:58		3726'55.1208"N		795'55.5291"W		261.318		38778.832		0		UNKNOWN		2		512		CLASSIC		OMNI PEAK		140		100		100		0		10		17.287		1.067		41.505		Yes		7/1/25 14:58		RTK		32		1.09		0.58		0.93		9588		-1339		Yes		RTK		3D		0.4		2001		0.472		0.394		0.394		1.23				WME		Water Meter

		UP273		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		273		7/1/25 14:59		3726'57.1347"N		795'55.1558"W		206.517		38985.349		0		UNKNOWN		16		512		CLASSIC		OMNI PEAK		140		100		100		-5		9		8.06		-4.184		-14.157		Yes		7/1/25 14:59		RTK		32		1.27		0.65		1.09		9650		-1339		Yes		RTK		3D		2		2001		0.591		0.512		0.433		1.563				WME		Water Meter

		UP274		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		274		7/1/25 15:01		3726'57.6684"N		795'58.7103"W		291.355		39276.704		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		27.912		100		-8		11		16.433		0.137		21.495		Yes		7/1/25 15:01		RTK		32		1.09		0.57		0.93		9540		-1339		Yes		RTK		3D		1.4		2001		0.759		0.591		0.512		1.923				WME		Water Meter

		UP275		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		275		7/1/25 15:01		3726'57.3168"N		796'0.1808"W		123.692		39400.396		0		UNKNOWN		30		512		CLASSIC		OMNI PEAK		140		100		100		-11		10		9.244		-4.18		75.388		Yes		7/1/25 15:01		RTK		32		1.09		0.57		0.93		9493		-1339		Yes		RTK		3D		1		2001		0.551		0.512		0.472		1.504				WME		Water Meter

		UP276		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		276		7/1/25 15:02		3726'57.1216"N		796'2.0995"W		155.797		39556.192		0		UNKNOWN		36		512		CLASSIC		OMNI PEAK		140		100		100		19		8		19.618		0.205		-14.596		Yes		7/1/25 15:02		RTK		32		1.05		0.55		0.89		9440		-1339		Yes		RTK		3D		0.6		2001		0.948		0.85		0.512		2.546				WME		Water Meter

		UP277		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		277		7/1/25 15:03		3726'56.3756"N		796'5.5419"W		287.396		39843.588		0		UNKNOWN		7		512		CLASSIC		OMNI PEAK		140		100		100		5		7		23.558		-1.632		-37.202		Yes		7/1/25 15:04		RTK		31		1.16		0.6		0.99		9290		-1339		Yes		RTK		3D		0.8		2001		0.759		0.591		0.551		1.923				WME		Water Meter

		UP278		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		278		7/1/25 15:05		3726'55.9650"N		796'7.6579"W		175.442		40019.031		0		UNKNOWN		105		512		CLASSIC		OMNI PEAK		140		100		100		-4		9		17.221		-4.203		84.551		Yes		7/1/25 15:05		RTK		31		1.23		0.62		1.06		9124		-1339		Yes		RTK		3D		2.2		2001		0.551		0.472		0.433		1.452				WME		Water Meter

		UP279		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		279		7/1/25 15:05		3726'56.8110"N		796'6.6655"W		117.276		40136.307		0		UNKNOWN		41		512		CLASSIC		OMNI PEAK		140		100		100		4		5		9.415		-1.085		1.882		Yes		7/1/25 15:05		RTK		32		1.16		0.6		0.99		9220		-1339		Yes		RTK		3D		0.8		2001		0.672		0.591		0.472		1.789				WME		Water Meter

		UP280		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		280		7/1/25 15:07		3726'57.0975"N		796'5.4753"W		100.166		40236.473		0		UNKNOWN		1		512		CLASSIC		OMNI PEAK		140		100		100		-5		10		12.584		-0.232		25.209		Yes		7/1/25 15:07		RTK		32		1.16		0.61		0.99		9296		-1339		Yes		RTK		3D		1.4		2001		0.948		0.759		0.512		2.427				WME		Water Meter

		UP281		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		281		7/1/25 15:08		3726'57.5528"N		796'3.1945"W		189.421		40425.895		0		UNKNOWN		34		512		CLASSIC		OMNI PEAK		140		100		100		-10		9		13.053		-4.438		-74.909		Yes		7/1/25 15:08		RTK		31		1.16		0.61		0.99		9396		-1339		Yes		RTK		3D		0.8		2001		0.472		0.394		0.394		1.23				WME		Water Meter

		UP282		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		282		7/1/25 15:09		3726'57.7599"N		796'1.0777"W		171.773		40597.668		0		UNKNOWN		56		512		CLASSIC		OMNI PEAK		140		100		100		-17		7		12.045		-0.394		3.429		Yes		7/1/25 15:09		RTK		32		1.14		0.58		0.97		9469		-1339		Yes		RTK		3D		0.6		2001		1.05		0.551		0.551		2.372				WME		Water Meter

		UP283		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		283		7/1/25 15:10		3726'58.3339"N		795'58.2775"W		232.929		40830.597		0		UNKNOWN		74		512		CLASSIC		OMNI PEAK		140		100		100		56		9		21.436		-7.538		-1.777		Yes		7/1/25 15:10		RTK		30		1.14		0.59		0.98		9555		-1339		Yes		RTK		3D		0.8		2001		0.512		0.394		0.394		1.291				WME		Water Meter

		UP284		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		284		7/1/25 15:11		3726'59.0722"N		795'54.8457"W		286.361		41116.958		-0.001		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		-24		7		17.832		0.169		56.235		Yes		7/1/25 15:11		RTK		32		1.14		0.59		0.98		9619		-1339		Yes		RTK		3D		1.6		2001		1.05		0.433		0.433		2.271				WME		Water Meter

		UP285		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		285		7/1/25 15:12		3726'59.1906"N		795'54.1285"W		59.003		41175.961		0		UNKNOWN		39		512		CLASSIC		OMNI PEAK		140		100		100		-1		9		20.067		-6.513		13.608		Yes		7/1/25 15:12		RTK		32		1.14		0.59		0.98		9655		-1339		Yes		RTK		3D		1.4		2001		0.759		0.551		0.472		1.875				WME		Water Meter

		UP286		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		286		7/1/25 15:12		3726'59.3430"N		795'52.0145"W		170.961		41346.921		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		-1		10		14.881		-10.221		-26.766		Yes		7/1/25 15:12		RTK		32		1.14		0.59		0.98		9762		-1339		Yes		RTK		3D		2.2		2001		0.512		0.433		0.394		1.341				WME		Water Meter

		UP287		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		287		7/1/25 15:13		3726'59.1479"N		795'50.5832"W		116.965		41463.887		0		UNKNOWN		45		512		CLASSIC		OMNI PEAK		140		100		100		102		7		17.097		-3.366		11.197		Yes		7/1/25 15:13		RTK		32		1.2		0.6		1.04		9821		-1339		Yes		RTK		3D		0.8		2001		0.672		0.512		0.433		1.689				WME		Water Meter

		UP288		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		288		7/2/25 8:08		3727'1.2416"N		795'47.6994"W		314.744		41778.63		0		UNKNOWN		116		512		CLASSIC		OMNI PEAK		140		26.21		100		9		10		10.304		-1.827		-79.759		Yes		7/2/25 8:08		RTK		16		4.48		1.23		4.3		9741		-1339		Yes		RTK		3D		1.2		2229		4.199		3.402		2.795		10.809				WME		Water Meter

		UP289		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		289		7/2/25 8:09		3727'2.1048"N		795'46.8980"W		108.788		41887.418		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		3.218		100		1		5		16.12		0.279		-30.759		Yes		7/2/25 8:09		RTK		20		1.95		1.01		1.66		9852		-1339		Yes		RTK		3D		1.4		2229		0.759		0.672		0.669		2.027				WME		Water Meter

		UP290		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		290		7/2/25 8:09		3727'2.6374"N		795'46.2815"W		73.378		41960.796		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		19.053		100		16		2		19.198		-3		-79.252		Yes		7/2/25 8:09		RTK		21		1.95		1.01		1.67		9891		-1339		Yes		RTK		3D		1.2		2229		1.157		0.85		0.709		2.873				WME		Water Meter

		UP291		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		291		7/2/25 8:12		3727'3.1688"N		795'45.7552"W		68.584		42029.38		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		11.526		100		-3		8		13.47		2.654		10.699		Yes		7/2/25 8:12		RTK		28		1.05		0.62		0.85		9928		-1339		Yes		RTK		3D		1		2229		0.672		0.551		0.472		1.738				WME		Water Meter

		UP292		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		292		7/2/25 8:12		3727'4.2100"N		795'44.8658"W		127.627		42157.006		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		22.085		100		0		12		16.397		-1.318		84.04		Yes		7/2/25 8:12		RTK		29		1.15		0.65		0.95		9962		-1339		Yes		RTK		3D		1.2		2229		1.388		0.672		0.551		3.085				WME		Water Meter

		UP293		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		293		7/2/25 8:13		3727'4.9883"N		795'44.0344"W		103.529		42260.535		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		32.404		100		46		5		14.133		-2.738		-27.329		Yes		7/2/25 8:13		RTK		29		1.15		0.65		0.95		9953		-1339		Yes		RTK		3D		1		2229		0.512		0.394		0.394		1.291				WME		Water Meter

		UP294		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		294		7/2/25 8:14		3727'6.0298"N		795'43.0747"W		130.915		42391.451		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		11.577		100		-1		12		10.961		1.454		-17.876		Yes		7/2/25 8:14		RTK		29		1.03		0.6		0.84		9941		-1339		Yes		RTK		3D		1		2229		0.512		0.433		0.394		1.341				WME		Water Meter

		UP295		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		295		7/2/25 8:14		3727'6.5772"N		795'42.5917"W		67.796		42459.247		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		16.327		100		14		9		16.346		-1.665		-72.984		Yes		7/2/25 8:14		RTK		29		1.06		0.62		0.85		9936		-1339		Yes		RTK		3D		2.2		2229		0.85		0.551		0.512		2.027				WME		Water Meter

		UP296		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		296		7/2/25 8:15		3727'7.4538"N		795'42.0484"W		99.116		42558.363		0		UNKNOWN		1		512		CLASSIC		OMNI PEAK		140		100		100		0		11		15		-0.701		-73.092		Yes		7/2/25 8:15		RTK		29		1.06		0.62		0.86		9943		-1339		Yes		RTK		3D		0.6		2229		0.472		0.394		0.394		1.23				WME		Water Meter

		UP297		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		297		7/2/25 8:15		3727'8.7482"N		795'41.3773"W		142.006		42700.369		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		1		8		18.524		0.257		74.441		Yes		7/2/25 8:15		RTK		30		1.03		0.61		0.83		9956		-1339		Yes		RTK		3D		1.4		2229		0.551		0.433		0.394		1.402				WME		Water Meter

		UP298		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		298		7/2/25 8:19		3727'15.5745"N		795'41.4183"W		692.54		43392.909		0		UNKNOWN		35		512		CLASSIC		OMNI PEAK		140		100		100		-23		7		12.615		0.637		-88.094		Yes		7/2/25 8:19		RTK		30		1		0.59		0.81		10088		-1339		Yes		RTK		3D		1.4		2229		0.394		0.335		0.394		1.033				WME		Water Meter

		UP299		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		299		7/2/25 8:19		3727'16.0855"N		795'42.0893"W		74.886		43467.795		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		-20		5		11.943		-2.22		-30.554		Yes		7/2/25 8:19		RTK		30		1		0.59		0.81		10044		-1339		Yes		RTK		3D		1.2		2229		2.362		1.512		0.827		5.609				WME		Water Meter

		UP300		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		300		7/2/25 8:21		3727'18.1182"N		795'43.4570"W		233.787		43701.582		0.001		UNKNOWN		118		512		CLASSIC		OMNI PEAK		140		100		100		-38		7		7.2		0.992		22.123		Yes		7/2/25 8:21		RTK		32		1.03		0.6		0.84		9973		-1339		Yes		RTK		3D		1.6		2229		1.157		0.551		0.472		2.564				WME		Water Meter

		UP301		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		301		7/2/25 8:21		3727'19.0218"N		795'44.2941"W		113.793		43815.374		0		UNKNOWN		14		512		CLASSIC		OMNI PEAK		140		100		100		6		10		17.523		-2.821		-11.557		Yes		7/2/25 8:21		RTK		32		1.02		0.58		0.83		9956		-1339		Yes		RTK		3D		1		2229		0.759		0.551		0.512		1.875				WME		Water Meter

		UP302		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		302		7/2/25 8:23		3727'17.3832"N		795'46.2907"W		231.28		44046.654		-0.001		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		76.01		100		0		12		17.785		0.345		-66.18		Yes		7/2/25 8:23		RTK		32		0.99		0.58		0.8		9846		-1339		Yes		RTK		3D		1.4		2229		0.472		0.362		0.394		1.191				WME		Water Meter

		UP303		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		303		7/2/25 8:24		3727'17.0386"N		795'47.8018"W		126.614		44173.268		0		UNKNOWN		14		512		CLASSIC		OMNI PEAK		140		100		100		3		10		14.017		0.894		-39.964		Yes		7/2/25 8:24		RTK		32		0.99		0.58		0.8		9803		-1339		Yes		RTK		3D		1.2		2229		0.672		0.472		0.433		1.643				WME		Water Meter

		UP304		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		304		7/2/25 8:25		3727'16.2535"N		795'49.1970"W		137.734		44311.002		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		40.587		100		-4		13		17.007		-0.433		-46.397		Yes		7/2/25 8:25		FLOAT RTK		32		1.02		0.61		0.81		9755		-1339		Yes		FLOAT RTK		3D		1.2		2229		20.246		15.461		2.795		50.948				WME		Water Meter

		UP305		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		305		7/2/25 8:26		3727'17.2595"N		795'49.3364"W		102.683		44413.685		0		UNKNOWN		28		512		CLASSIC		OMNI PEAK		140		100		100		0		8		18.356		0.737		-73.39		Yes		7/2/25 8:26		RTK		30		0.99		0.58		0.8		9817		-1339		Yes		RTK		3D		1.4		2229		0.591		0.512		0.512		1.563				WME		Water Meter

		UP306		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		306		7/2/25 8:26		3727'17.3324"N		795'49.0290"W		25.837		44439.522		0		UNKNOWN		3		512		CLASSIC		OMNI PEAK		140		100		100		4		12		21.29		-4.335		23.605		Yes		7/2/25 8:26		RTK		32		0.99		0.58		0.8		9828		-1339		Yes		RTK		3D		1.4		2229		0.433		0.339		0.394		1.099				WME		Water Meter

		UP307		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		307		7/2/25 8:30		3727'20.6857"N		795'44.9687"W		471.866		44911.388		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		1.14		100		34		12		14.972		3.52		76.717		Yes		7/2/25 8:30		RTK		32		0.91		0.53		0.74		10114		-1339		Yes		RTK		3D		1.6		2229		0.948		0.759		0.551		2.427				WME		Water Meter

		UP308		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		308		7/2/25 8:30		3727'20.1837"N		795'44.4022"W		68.369		44979.757		0		UNKNOWN		54		512		CLASSIC		OMNI PEAK		140		100		100		0		12		18.676		0.705		8.081		Yes		7/2/25 8:30		RTK		32		0.92		0.54		0.75		10050		-1339		Yes		RTK		3D		1.2		2229		0.394		0.343		0.394		1.044				WME		Water Meter

		UP309		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		309		7/2/25 8:31		3727'19.3282"N		795'43.6416"W		106.232		45085.989		0.001		UNKNOWN		234		512		CLASSIC		OMNI PEAK		140		100		100		-32		6		17.965		-0.841		-70.119		Yes		7/2/25 8:31		RTK		32		0.91		0.53		0.74		9970		-1339		Yes		RTK		3D		1		2229		1.27		0.85		0.709		3.057				WME		Water Meter

		UP310		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		310		7/2/25 8:32		3727'18.0270"N		795'42.5042"W		160.675		45246.664		-0.001		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		45		9		8.047		4.285		7.587		Yes		7/2/25 8:32		RTK		31		0.99		0.57		0.81		10040		-1339		Yes		RTK		3D		1.4		2229		0.472		0.366		0.394		1.195				WME		Water Meter

		UP311		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		311		7/2/25 8:33		3727'17.0817"N		795'41.7043"W		115.53		45362.194		0.003		UNKNOWN		97		512		CLASSIC		OMNI PEAK		140		100		100		-3		7		20.079		-1.666		21.104		Yes		7/2/25 8:33		RTK		31		1.01		0.57		0.83		10048		-1339		Yes		RTK		3D		1		2229		0.512		0.374		0.394		1.268				WME		Water Meter

		UP312		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		312		7/2/25 8:33		3727'16.9452"N		795'41.5589"W		18.136		45380.33		-0.001		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		7		8		21.499		0.585		62.682		Yes		7/2/25 8:33		RTK		32		1.03		0.59		0.85		10042		-1339		Yes		RTK		3D		1.4		2229		1.05		0.759		0.669		2.59				WME		Water Meter

		UP313		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		313		7/2/25 8:34		3727'15.5569"N		795'40.5464"W		162.743		45543.074		-0.001		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		-22		8		14.689		1.704		-26.152		Yes		7/2/25 8:34		RTK		32		1.03		0.59		0.85		10125		-1339		Yes		RTK		3D		0.8		2229		1.388		0.85		0.669		3.256				WME		Water Meter

		UP314		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		314		7/2/25 8:34		3727'14.4006"N		795'39.9942"W		125.459		45668.532		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		82.168		100		82		10		19.036		0.688		-33.556		Yes		7/2/25 8:35		RTK		31		1.03		0.59		0.85		10163		-1339		Yes		RTK		3D		1.4		2229		0.512		0.394		0.394		1.291				WME		Water Meter

		UP315		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		315		7/2/25 8:35		3727'13.4036"N		795'39.8150"W		102.163		45770.695		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		3.294		100		2		13		19.027		6.137		-61.758		Yes		7/2/25 8:35		RTK		32		0.99		0.57		0.82		10111		-1339		Yes		RTK		3D		1		2229		0.85		0.759		0.551		2.279				WME		Water Meter

		UP316		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		316		7/2/25 8:36		3727'12.5000"N		795'39.5296"W		94.514		45865.209		0.002		UNKNOWN		215		512		CLASSIC		OMNI PEAK		140		100		100		21		8		14.017		0.438		-78.421		Yes		7/2/25 8:36		RTK		31		0.99		0.57		0.82		10086		-1339		Yes		RTK		3D		2.4		2229		1.774		1.27		0.866		4.364				WME		Water Meter

		UP317		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		317		7/2/25 8:37		3727'11.7658"N		795'39.6119"W		74.778		45939.987		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		97.347		100		-2		9		25.553		-2.817		-2.059		Yes		7/2/25 8:37		RTK		31		1.01		0.58		0.82		10022		-1339		Yes		RTK		3D		1.2		2229		0.512		0.433		0.394		1.341				WME		Water Meter

		UP318		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		318		7/2/25 8:38		3727'10.1216"N		795'39.8685"W		168.076		46108.063		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		14.923		100		-16		10		12.02		0.814		-1.914		Yes		7/2/25 8:38		RTK		30		1		0.56		0.82		9985		-1339		Yes		RTK		3D		0.6		2229		0.433		0.433		0.394		1.225				WME		Water Meter

		UP319		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		319		7/2/25 8:38		3727'9.4437"N		795'40.3142"W		77.576		46185.639		0.001		UNKNOWN		90		512		CLASSIC		OMNI PEAK		140		100		100		2		9		15.808		1.18		-33.754		Yes		7/2/25 8:38		RTK		31		1.07		0.61		0.87		9985		-1339		Yes		RTK		3D		2.2		2229		0.512		0.378		0.394		1.272				WME		Water Meter

		UP320		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		320		7/2/25 8:39		3727'8.2435"N		795'40.9006"W		130.608		46316.247		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		42.745		100		5		8		19.994		-1.533		43.855		Yes		7/2/25 8:39		RTK		32		1		0.56		0.83		9997		-1339		Yes		RTK		3D		0.8		2229		0.512		0.433		0.394		1.341				WME		Water Meter

		UP321		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		321		7/2/25 8:39		3727'6.8612"N		795'41.5636"W		150.048		46466.295		-0.002		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		68		8		11.698		-1.174		8.284		Yes		7/2/25 8:39		RTK		32		1.03		0.58		0.85		9978		-1339		Yes		RTK		3D		1.6		2229		1.157		0.85		0.63		2.873				WME		Water Meter

		UP322		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		322		7/2/25 8:40		3727'5.1324"N		795'43.0945"W		214.395		46680.69		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		6.927		100		-9		10		13.904		3.386		27.769		Yes		7/2/25 8:40		RTK		32		1		0.57		0.82		9955		-1339		Yes		RTK		3D		1.4		2229		0.948		0.672		0.551		2.323				WME		Water Meter

		UP323		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		323		7/2/25 8:41		3727'4.3467"N		795'43.7598"W		96.044		46776.734		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		24.791		100		-2		11		16.962		-2.512		-12.775		Yes		7/2/25 8:41		RTK		31		0.97		0.55		0.8		9981		-1339		Yes		RTK		3D		1.6		2229		0.551		0.433		0.394		1.402				WME		Water Meter

		UP324		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		324		7/2/25 8:41		3727'3.4552"N		795'44.5689"W		111.472		46888.206		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		60.861		100		20		12		15.027		3.631		48.528		Yes		7/2/25 8:41		RTK		32		1		0.56		0.83		9965		-1339		Yes		RTK		3D		0.6		2229		0.591		0.472		0.394		1.513				WME		Water Meter

		UP325		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		325		7/2/25 8:42		3727'2.5212"N		795'45.4436"W		118.072		47006.278		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		56.392		100		-5		12		8.278		3.624		-63.477		Yes		7/2/25 8:42		RTK		31		0.97		0.55		0.8		9910		-1339		Yes		RTK		3D		0.4		2229		0.85		0.591		0.512		2.071				WME		Water Meter

		UP326		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		326		7/2/25 8:43		3727'1.7367"N		795'46.2026"W		100.361		47106.64		0		UNKNOWN		24		512		CLASSIC		OMNI PEAK		140		100		100		-1		11		14.552		2.026		5.474		Yes		7/2/25 8:43		RTK		31		1.02		0.56		0.85		9841		-1339		Yes		RTK		3D		0.6		2229		1.27		0.672		0.669		2.874				WME		Water Meter

		UP327		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		327		7/2/25 8:43		3727'1.0640"N		795'46.5073"W		72.518		47179.158		0		UNKNOWN		9		512		CLASSIC		OMNI PEAK		140		100		100		3		10		17.611		-1.71		-15.438		Yes		7/2/25 8:43		RTK		32		0.98		0.56		0.81		9781		-1339		Yes		RTK		3D		1		2229		1.388		0.759		0.591		3.164				WME		Water Meter

		UP328		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		328		7/2/25 8:57		3727'26.1935"N		795'34.0445"W		2739.866		49919.024		0.001		UNKNOWN		119		512		CLASSIC		OMNI PEAK		140		100		100		-13		9		17.481		-5.136		-86.737		Yes		7/2/25 8:57		RTK		32		1.19		0.66		0.99		9588		-1339		Yes		RTK		3D		1.2		2229		0.551		0.37		0.394		1.328				WME		Water Meter

		UP329		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		329		7/2/25 8:57		3727'26.4634"N		795'33.2182"W		71.956		49990.979		0		UNKNOWN		95		512		CLASSIC		OMNI PEAK		140		100		100		9		5		19.67		1.329		69.844		Yes		7/2/25 8:57		RTK		32		1.07		0.61		0.88		9556		-1339		Yes		RTK		3D		1.8		2229		1.512		0.672		0.63		3.309				WME		Water Meter

		UP330		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		330		7/2/25 8:59		3727'26.8055"N		795'31.9763"W		105.863		50096.842		0		UNKNOWN		8		512		CLASSIC		OMNI PEAK		140		100		100		13		13		10.817		0.523		-27.786		Yes		7/2/25 8:59		RTK		32		1.1		0.59		0.93		9502		-1339		Yes		RTK		3D		2.2		2229		0.472		0.394		0.394		1.23				WME		Water Meter

		UP331		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		331		7/2/25 9:00		3727'27.5514"N		795'30.6735"W		129.362		50226.204		0.008		UNKNOWN		1111		512		CLASSIC		OMNI PEAK		140		100		100		-20		4		12.122		1.483		85.568		Yes		7/2/25 9:00		RTK		32		1.02		0.57		0.85		9472		-1339		Yes		RTK		3D		1.8		2229		0.551		0.472		0.394		1.452				WME		Water Meter

		UP332		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		332		7/2/25 9:00		3727'27.3467"N		795'30.3653"W		32.362		50258.566		0.001		UNKNOWN		42		512		CLASSIC		OMNI PEAK		140		100		100		-2		11		17.629		-0.777		12.001		Yes		7/2/25 9:00		RTK		32		1.06		0.58		0.88		9460		-1339		Yes		RTK		3D		1.4		2229		0.85		0.591		0.512		2.071				WME		Water Meter

		UP333		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		333		7/2/25 9:00		3727'27.2367"N		795'30.2470"W		14.666		50273.232		0		UNKNOWN		13		512		CLASSIC		OMNI PEAK		140		100		100		-2		9		22.865		-1.96		-44.7		Yes		7/2/25 9:00		RTK		32		1.06		0.58		0.88		9461		-1339		Yes		RTK		3D		1.6		2229		0.433		0.358		0.394		1.124				WME		Water Meter

		UP334		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		334		7/2/25 9:01		3727'26.2197"N		795'30.6629"W		108.485		50381.716		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		22.494		100		-22		3		27.258		-6.239		5.822		Yes		7/2/25 9:01		RTK		32		1.02		0.57		0.85		9516		-1339		Yes		RTK		3D		1.8		2229		0.672		0.433		0.394		1.599				WME		Water Meter

		UP335		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		335		7/2/25 9:03		3727'25.8665"N		795'32.7246"W		169.851		50551.568		0		UNKNOWN		46		512		CLASSIC		OMNI PEAK		140		100		100		-5		12		15.284		5.374		63.477		Yes		7/2/25 9:03		RTK		31		1.02		0.56		0.86		9568		-1339		Yes		RTK		3D		1.6		2229		1.512		0.85		0.591		3.469				WME		Water Meter

		UP336		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		336		7/2/25 9:04		3727'23.1854"N		795'32.6696"W		272.04		50823.608		0		UNKNOWN		24		512		CLASSIC		OMNI PEAK		140		100		100		6		12		17.113		4.495		-45.21		Yes		7/2/25 9:05		RTK		32		1.14		0.58		0.98		9889		-1339		Yes		RTK		3D		1.2		2229		0.672		0.472		0.551		1.643				WME		Water Meter

		UP337		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		337		7/2/25 9:05		3727'22.2675"N		795'32.1906"W		100.787		50924.395		0		UNKNOWN		50		512		CLASSIC		OMNI PEAK		140		100		100		-5		6		23.255		-1.564		65.494		Yes		7/2/25 9:05		RTK		32		1.14		0.58		0.99		9907		-1339		Yes		RTK		3D		0.8		2229		0.472		0.472		0.433		1.336				WME		Water Meter

		UP338		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		338		7/2/25 9:06		3727'21.1540"N		795'31.5725"W		123.453		51047.848		0		UNKNOWN		66		512		CLASSIC		OMNI PEAK		140		100		100		-30		8		23.281		-2.517		28.743		Yes		7/2/25 9:06		RTK		32		1.05		0.55		0.89		10000		-1339		Yes		RTK		3D		1.2		2229		0.512		0.37		0.394		1.263				WME		Water Meter

		UP339		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		339		7/2/25 9:06		3727'19.9351"N		795'30.7199"W		141.438		51189.285		0.002		UNKNOWN		96		512		CLASSIC		OMNI PEAK		140		100		100		-34		6		21.826		-11.328		-62.159		Yes		7/2/25 9:06		RTK		32		1.05		0.55		0.9		10016		-1339		Yes		RTK		3D		1.2		2229		0.551		0.433		0.472		1.402				WME		Water Meter

		UP340		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		340		7/2/25 9:07		3727'19.0778"N		795'30.0670"W		101.631		51290.917		0		UNKNOWN		0		8192		CLASSIC		OMNI PEAK		140		5.845		100		-76		7		11.874		-3.267		-8.046		Yes		7/2/25 9:07		RTK		32		1.1		0.56		0.94		9891		-1339		Yes		RTK		3D		1.2		2229		0.512		0.394		0.394		1.291				WME		Water Meter

		UP341		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		341		7/2/25 9:08		3727'17.2569"N		795'28.9804"W		204.407		51495.324		0		UNKNOWN		114		8192		CLASSIC		OMNI PEAK		140		100		100		32		7		24.239		4.634		60.701		Yes		7/2/25 9:08		RTK		32		0.98		0.5		0.84		9899		-1339		Yes		RTK		3D		3		2229		0.672		0.512		0.472		1.689				WME		Water Meter

		UP342		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		342		7/2/25 9:08		3727'17.1735"N		795'28.8506"W		13.453		51508.777		0		UNKNOWN		0		8192		CLASSIC		OMNI PEAK		140		0.654		100		0		10		27.211		-1.902		-64.66		Yes		7/2/25 9:08		RTK		32		1.04		0.55		0.88		9894		-1339		Yes		RTK		3D		1.2		2229		1.05		0.672		0.551		2.493				WME		Water Meter

		UP343		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		343		7/2/25 9:11		3727'19.8595"N		795'29.5854"W		278.853		51787.63		0		UNKNOWN		0		8192		CLASSIC		OMNI PEAK		140		43.595		100		5		10		25.164		-3.948		-10.562		Yes		7/2/25 9:11		RTK		31		1.06		0.53		0.92		9935		-1339		Yes		RTK		3D		2.2		2229		0.512		0.394		0.394		1.291				WME		Water Meter

		UP344		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		344		7/2/25 9:24		3727'20.7474"N		795'29.8744"W		93.038		51880.668		0		UNKNOWN		19		8192		CLASSIC		OMNI PEAK		140		35.005		100		33		9		25.737		0.959		18.145		Yes		7/2/25 9:24		RTK		32		1.1		0.53		0.96		9935		-1339		Yes		RTK		3D		0.8		2229		0.551		0.512		0.512		1.504				WME		Water Meter

		UP345		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		345		7/2/25 9:25		3727'21.4874"N		795'30.8783"W		110.326		51990.994		0		UNKNOWN		0		8192		CLASSIC		OMNI PEAK		140		10.844		100		-62		3		20.47		3.043		16.063		Yes		7/2/25 9:25		RTK		32		1.25		0.55		1.12		9955		-1339		Yes		RTK		3D		0.8		2229		0.591		0.394		0.433		1.42				WME		Water Meter

		UP346		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		346		7/2/25 9:26		3727'22.3459"N		795'31.2748"W		92.763		52083.757		0		UNKNOWN		0		8192		CLASSIC		OMNI PEAK		140		13.749		100		55		9		15.372		-0.453		-88.853		Yes		7/2/25 9:26		RTK		32		1.26		0.56		1.12		9906		-1339		Yes		RTK		3D		0.8		2229		0.472		0.433		0.433		1.282				WME		Water Meter

		UP347		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		347		7/2/25 9:29		3727'25.8378"N		795'35.1755"W		473.475		52557.232		0		UNKNOWN		1035		8192		CLASSIC		OMNI PEAK		140		81.891		100		125		5		10.123		-1.639		-77.528		Yes		7/2/25 9:29		RTK		31		1.19		0.54		1.06		9625		-1339		Yes		RTK		3D		1.2		2229		0.672		0.512		0.551		1.689				WME		Water Meter

		UP348		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		348		7/2/25 9:29		3727'25.5108"N		795'36.3549"W		100.607		52657.839		0		UNKNOWN		778		8192		CLASSIC		OMNI PEAK		140		81.776		100		61		9		16.243		-0.705		32.637		Yes		7/2/25 9:29		RTK		31		1.2		0.54		1.07		9660		-1339		Yes		RTK		3D		1.2		2229		0.512		0.472		0.472		1.393				WME		Water Meter

		UP349		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		349		7/2/25 9:30		3727'24.9980"N		795'35.9417"W		61.753		52719.592		0		UNKNOWN		58		8192		CLASSIC		OMNI PEAK		140		100		100		9		4		13.754		-1.865		8.755		Yes		7/2/25 9:30		RTK		30		1.28		0.55		1.15		9648		-1339		Yes		RTK		3D		1.6		2229		1.27		1.157		0.827		3.437				WME		Water Meter

		UP350		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		350		7/2/25 9:30		3727'24.6750"N		795'36.9848"W		90.171		52809.763		0		UNKNOWN		74		8192		CLASSIC		OMNI PEAK		140		100		100		-13		9		13.264		-0.733		-39.813		Yes		7/2/25 9:30		RTK		31		1.3		0.57		1.17		9692		-1339		Yes		RTK		3D		1		2229		0.85		0.672		0.748		2.168				WME		Water Meter

		UP351		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		351		7/2/25 9:31		3727'25.0305"N		795'37.9072"W		82.573		52892.336		0		UNKNOWN		0		8192		CLASSIC		OMNI PEAK		140		8.675		100		41		12		15.111		-2.556		-32.046		Yes		7/2/25 9:31		RTK		31		1.28		0.55		1.16		9716		-1339		Yes		RTK		3D		0.8		2229		4.199		1.64		1.26		9.017				WME		Water Meter

		UP352		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		352		7/2/25 9:31		3727'24.7392"N		795'38.8830"W		83.954		52976.29		0		UNKNOWN		0		8192		CLASSIC		OMNI PEAK		140		9.79		100		234		8		12.003		-0.629		57.119		Yes		7/2/25 9:31		RTK		31		1.29		0.55		1.16		9794		-1339		Yes		RTK		3D		1.2		2229		1.05		0.672		0.709		2.493				WME		Water Meter

		UP353		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		353		7/2/25 9:34		3727'23.4111"N		795'38.5821"W		136.901		53113.191		0		UNKNOWN		594		8192		CLASSIC		OMNI PEAK		140		11.595		100		88		6		16.832		3.811		-85.913		Yes		7/2/25 9:34		RTK		30		1.3		0.56		1.17		9923		-1339		Yes		RTK		3D		1.2		2229		1.64		1.157		0.984		4.015				WME		Water Meter

		UP354		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		354		7/2/25 9:35		3727'21.0205"N		795'37.2482"W		265.249		53378.44		0		UNKNOWN		108		8192		CLASSIC		OMNI PEAK		140		100		100		42		4		23.058		-5.395		-53.652		Yes		7/2/25 9:35		FLOAT RTK		31		1.3		0.56		1.17		10098		-1339		Yes		FLOAT RTK		3D		1.2		2229		8.835		4.601		1.89		19.922				WME		Water Meter

		UP355		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		355		7/2/25 9:36		3727'19.6901"N		795'36.2346"W		157.737		53536.177		0		UNKNOWN		0		8192		CLASSIC		OMNI PEAK		140		1.083		100		65		8		21.524		-2.115		-23.973		Yes		7/2/25 9:36		RTK		31		1.3		0.56		1.17		10224		-1339		Yes		RTK		3D		0.8		2229		1.157		0.591		0.827		2.599				WME		Water Meter

		UP356		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		356		7/2/25 9:37		3727'19.0260"N		795'35.6393"W		82.684		53618.861		0		UNKNOWN		0		8192		CLASSIC		OMNI PEAK		140		37.793		100		-5		8		19.702		0.715		33.571		Yes		7/2/25 9:37		RTK		31		1.3		0.56		1.18		10236		-1339		Yes		RTK		3D		1.4		2229		1.774		0.948		0.827		4.023				WME		Water Meter

		UP357		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		357		7/2/25 9:37		3727'18.0444"N		795'34.9276"W		114.905		53733.765		0		UNKNOWN		0		8192		CLASSIC		OMNI PEAK		140		11.337		100		3		6		17.142		-9.378		-76.029		Yes		7/2/25 9:37		RTK		31		1.3		0.56		1.18		10286		-1339		Yes		RTK		3D		1.8		2229		0.512		0.346		0.472		1.236				WME		Water Meter

		UP358		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		358		7/2/25 9:38		3727'17.0927"N		795'34.2511"W		110.859		53844.624		0		UNKNOWN		0		8192		CLASSIC		OMNI PEAK		140		3.897		100		23		12		15.374		0.511		-61.455		Yes		7/2/25 9:38		RTK		30		1.31		0.58		1.18		10297		-1339		Yes		RTK		3D		1.4		2229		1.157		0.591		0.748		2.599				WME		Water Meter

		UP359		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		359		7/2/25 9:38		3727'15.9680"N		795'33.9343"W		116.922		53961.546		0		UNKNOWN		0		8192		CLASSIC		OMNI PEAK		140		0.019		100		51		7		13.157		1.145		-15.665		Yes		7/2/25 9:38		RTK		30		1.3		0.56		1.18		10309		-1339		Yes		RTK		3D		1.2		2229		1.512		0.759		0.906		3.383				WME		Water Meter

		UP360		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		360		7/2/25 9:39		3727'14.6405"N		795'33.6963"W		136.036		54097.582		0		UNKNOWN		94		8192		CLASSIC		OMNI PEAK		140		33.287		100		12		11		13.043		-3.347		-65.604		Yes		7/2/25 9:39		RTK		30		1.3		0.56		1.18		10287		-1339		Yes		RTK		3D		1		2229		0.591		0.512		0.551		1.563				WME		Water Meter

		UP361		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		361		7/2/25 9:39		3727'14.1531"N		795'33.6929"W		49.441		54147.024		0		UNKNOWN		0		8192		CLASSIC		OMNI PEAK		140		0.393		100		-21		10		9.75		-4.265		-30.867		Yes		7/2/25 9:39		RTK		31		1.43		0.57		1.3		10261		-1339		Yes		RTK		3D		1		2229		0.394		0.358		0.394		1.065				WME		Water Meter

		UP362		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		362		7/2/25 9:49		3727'10.2002"N		795'34.1548"W		402.751		54549.774		0		UNKNOWN		0		8192		CLASSIC		OMNI PEAK		140		55.858		100		1		11		15.971		-4.555		-40.918		Yes		7/2/25 9:49		RTK		32		1.34		0.57		1.21		10232		-1339		Yes		RTK		3D		1.2		2229		0.948		0.591		0.63		2.233				WME		Water Meter

		UP363		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		363		7/2/25 9:50		3727'10.0666"N		795'33.6576"W		42.274		54592.048		0		UNKNOWN		64		8192		CLASSIC		OMNI PEAK		140		68.713		100		61		8		24.875		3.17		73.837		Yes		7/2/25 9:50		RTK		31		1.24		0.56		1.11		10245		-1339		Yes		RTK		3D		1.6		2229		0.948		0.512		0.827		2.154				WME		Water Meter

		UP364		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		364		7/2/25 9:53		3727'11.6674"N		795'30.5360"W		299.296		54891.344		0		UNKNOWN		286		8192		CLASSIC		OMNI PEAK		140		26.624		100		5		11		19.578		-2.903		-83.824		Yes		7/2/25 9:53		RTK		32		1.29		0.58		1.15		10275		-1339		Yes		RTK		3D		1.2		2229		0.85		0.512		0.669		1.985				WME		Water Meter

		UP365		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		365		7/2/25 9:53		3727'11.3665"N		795'29.2430"W		108.516		54999.861		0		UNKNOWN		0		8192		CLASSIC		OMNI PEAK		140		0.023		100		-55		11		11.973		-6.67		-64.583		Yes		7/2/25 9:53		RTK		32		1.16		0.53		1.04		10254		-1339		Yes		RTK		3D		1.2		2229		0.472		0.394		0.472		1.23				WME		Water Meter

		UP366		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		366		7/2/25 9:53		3727'11.2847"N		795'28.7529"W		40.334		55040.194		0		UNKNOWN		296		8192		CLASSIC		OMNI PEAK		140		42.425		100		-55		9		17.615		-6.746		-35.339		Yes		7/2/25 9:54		RTK		32		1.32		0.57		1.19		10250		-1339		Yes		RTK		3D		2.4		2229		0.948		0.551		0.669		2.192				WME		Water Meter

		UP367		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		367		7/2/25 9:55		3727'10.9444"N		795'27.4869"W		107.651		55147.846		0		UNKNOWN		17		8192		CLASSIC		OMNI PEAK		140		100		100		-6		8		22.411		6.263		-88.836		Yes		7/2/25 9:55		RTK		32		1.16		0.53		1.03		10258		-1339		Yes		RTK		3D		1.2		2229		1.157		0.672		0.748		2.677				WME		Water Meter

		UP368		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		368		7/2/25 9:58		3727'10.5498"N		795'25.5107"W		164.111		55311.957		0		UNKNOWN		0		8192		CLASSIC		OMNI PEAK		140		19.801		100		-7		11		13.03		-1.712		24.166		Yes		7/2/25 9:58		RTK		31		1.21		0.56		1.07		10211		-1339		Yes		RTK		3D		1		2229		0.85		0.551		0.709		2.027				WME		Water Meter

		UP369		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		369		7/2/25 9:58		3727'10.4480"N		795'24.5397"W		78.882		55390.839		0		UNKNOWN		92		8192		CLASSIC		OMNI PEAK		140		86.776		100		-31		6		16.793		-4.974		-35.303		Yes		7/2/25 9:58		RTK		32		1.09		0.52		0.96		10187		-1339		Yes		RTK		3D		1.2		2229		0.948		0.551		0.709		2.192				WME		Water Meter

		UP370		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		370		7/2/25 9:59		3727'10.3560"N		795'22.6787"W		150.17		55541.009		0		UNKNOWN		33		8192		CLASSIC		OMNI PEAK		140		100		100		0		9		13.462		-3.286		76.327		Yes		7/2/25 9:59		RTK		32		1.09		0.52		0.95		10165		-1339		Yes		RTK		3D		1.8		2229		0.591		0.472		0.551		1.513				WME		Water Meter

		UP371		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		371		7/2/25 10:00		3727'10.9530"N		795'21.8933"W		87.578		55628.588		0		UNKNOWN		0		8192		CLASSIC		OMNI PEAK		140		5.795		100		114		6		16.34		-4.684		-82.025		Yes		7/2/25 10:00		RTK		32		1.08		0.52		0.95		10187		-1339		Yes		RTK		3D		1.8		2229		3.402		2.362		1.339		8.283				WME		Water Meter

		UP372		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		372		7/2/25 10:02		3727'10.5949"N		795'21.9920"W		37.19		55665.778		-0.001		UNKNOWN		0		8192		CLASSIC		OMNI PEAK		140		30.701		100		-133		8		10.569		-2.286		43.567		Yes		7/2/25 10:02		RTK		32		1.13		0.53		1		10161		-1339		Yes		RTK		3D		0.6		2229		0.591		0.472		0.591		1.513				WME		Water Meter

		UP373		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		373		7/2/25 10:02		3727'11.4425"N		795'22.2984"W		89.457		55755.234		0		UNKNOWN		0		8192		CLASSIC		OMNI PEAK		140		12.472		100		37		8		13.386		0.556		-44.907		Yes		7/2/25 10:02		RTK		32		1.06		0.51		0.93		10219		-1339		Yes		RTK		3D		1		2229		0.591		0.433		0.512		1.465				WME		Water Meter

		UP374		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		374		7/2/25 10:03		3727'11.0358"N		795'24.7047"W		198.142		55953.377		0		UNKNOWN		0		8192		CLASSIC		OMNI PEAK		140		0.914		100		-20		10		15.656		-2.386		71.986		Yes		7/2/25 10:03		RTK		31		1.01		0.49		0.89		10206		-1339		Yes		RTK		3D		0.8		2229		0.672		0.433		0.551		1.599				WME		Water Meter

		UP375		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		375		7/2/25 10:05		3727'13.2285"N		795'25.0239"W		223.935		56177.312		0		UNKNOWN		25		8192		CLASSIC		OMNI PEAK		140		100		100		6		8		16.863		-2.412		-73.689		Yes		7/2/25 10:05		RTK		31		1.05		0.51		0.92		10235		-1339		Yes		RTK		3D		0.8		2229		1.27		0.672		0.787		2.874				WME		Water Meter

		UP376		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		376		7/2/25 10:06		3727'14.5773"N		795'24.5668"W		141.7		56319.012		0		UNKNOWN		1182		8192		CLASSIC		OMNI PEAK		140		19.606		100		-1		10		17.034		-1.198		-60.551		Yes		7/2/25 10:06		RTK		32		1.01		0.49		0.88		10116		-1339		Yes		RTK		3D		1.2		2229		0.591		0.472		0.512		1.513				WME		Water Meter

		UP377		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		377		7/2/25 10:07		3727'16.1283"N		795'24.0399"W		162.968		56481.98		0		UNKNOWN		39		8192		CLASSIC		OMNI PEAK		140		100		100		-23		5		11.573		-2.634		-3.276		Yes		7/2/25 10:07		RTK		31		1.1		0.53		0.96		10027		-1339		Yes		RTK		3D		1.4		2229		1.512		0.591		0.63		3.246				WME		Water Meter

		UP378		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		378		7/2/25 10:08		3727'17.0669"N		795'23.2549"W		114.305		56596.285		0		UNKNOWN		68		8192		CLASSIC		OMNI PEAK		140		39.9		100		-22		3		26.38		-1.878		54.517		Yes		7/2/25 10:08		RTK		32		1.04		0.5		0.92		10029		-1339		Yes		RTK		3D		1		2229		0.512		0.394		0.433		1.291				WME		Water Meter

		UP379		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		379		7/2/25 10:09		3727'17.8254"N		795'23.7321"W		86.011		56682.295		0		UNKNOWN		0		8192		CLASSIC		OMNI PEAK		140		1.877		100		-37		10		19.427		-1.676		-84.432		Yes		7/2/25 10:09		RTK		32		1.2		0.55		1.06		9962		-1339		Yes		RTK		3D		1		2229		1.512		0.85		0.906		3.469				WME		Water Meter

		UP380		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		380		7/2/25 10:09		3727'17.8128"N		795'23.8894"W		12.733		56695.028		0		UNKNOWN		69		8192		CLASSIC		OMNI PEAK		140		66.114		100		0		9		14.63		-2.411		-14.297		Yes		7/2/25 10:09		RTK		32		1.11		0.53		0.98		9959		-1339		Yes		RTK		3D		1		2229		0.394		0.315		0.394		1.008				WME		Water Meter

		UP381		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		381		7/2/25 10:09		3727'17.5925"N		795'24.3999"W		46.799		56741.827		0		UNKNOWN		0		8192		CLASSIC		OMNI PEAK		140		0.14		100		-57		10		18.077		5.886		-45.555		Yes		7/2/25 10:09		RTK		32		1.05		0.51		0.92		9973		-1339		Yes		RTK		3D		1		2229		0.472		0.394		0.472		1.23				WME		Water Meter

		UP382		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		382		7/2/25 10:10		3727'15.4860"N		795'25.0674"W		220.36		56962.188		0		UNKNOWN		100		8192		CLASSIC		OMNI PEAK		140		56.29		100		-4		7		8.287		-2.069		81.964		Yes		7/2/25 10:11		RTK		32		1.01		0.49		0.88		10015		-1339		Yes		RTK		3D		1.6		2229		0.512		0.433		0.512		1.341				WME		Water Meter

		UP383		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		383		7/2/25 10:11		3727'15.1882"N		795'25.1790"W		31.52		56993.708		0		UNKNOWN		31		8192		CLASSIC		OMNI PEAK		140		89.063		100		6		7		19.727		-2.938		-62.182		Yes		7/2/25 10:11		RTK		32		1.01		0.49		0.88		10044		-1339		Yes		RTK		3D		1		2229		0.551		0.433		0.472		1.402				WME		Water Meter

		UP384		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		384		7/2/25 10:12		3727'13.7333"N		795'25.6903"W		153.242		57146.951		0		UNKNOWN		31		8192		CLASSIC		OMNI PEAK		140		72.014		100		-4		7		11.625		-1.895		69.537		Yes		7/2/25 10:12		RTK		32		1.13		0.54		0.99		10179		-1339		Yes		RTK		3D		0.8		2229		0.759		0.551		0.669		1.875				WME		Water Meter

		UP385		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		385		7/2/25 10:13		3727'11.4810"N		795'27.5189"W		271.836		57418.787		0		UNKNOWN		0		8192		CLASSIC		OMNI PEAK		140		67.439		100		2		9		18.457		-0.677		-78.102		Yes		7/2/25 10:13		RTK		32		1.05		0.51		0.92		10247		-1339		Yes		RTK		3D		1		2229		0.672		0.433		0.512		1.599				WME		Water Meter

		UP386		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		386		7/2/25 10:14		3727'11.5950"N		795'28.0472"W		44.094		57462.88		0		UNKNOWN		28		8192		CLASSIC		OMNI PEAK		140		100		100		-59		8		15.926		1.472		80.99		Yes		7/2/25 10:14		RTK		32		1.05		0.51		0.92		10250		-1339		Yes		RTK		3D		1.4		2229		0.759		0.512		0.63		1.83				WME		Water Meter

		UP387		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		387		7/2/25 10:14		3727'11.9989"N		795'29.1378"W		96.922		57559.802		0		UNKNOWN		0		8192		CLASSIC		OMNI PEAK		140		0.042		100		40		9		26.858		-1.641		-83.239		Yes		7/2/25 10:14		RTK		32		1.08		0.52		0.95		10264		-1339		Yes		RTK		3D		1.4		2229		1.512		0.672		0.866		3.309				WME		Water Meter

		UP388		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		388		7/2/25 10:15		3727'12.2856"N		795'30.9536"W		149.1		57708.902		0		UNKNOWN		340		8192		CLASSIC		OMNI PEAK		140		31.269		100		46		8		20.455		-0.787		86.818		Yes		7/2/25 10:15		RTK		32		1.15		0.55		1.01		10292		-1339		Yes		RTK		3D		1		2229		0.512		0.394		0.512		1.291				WME		Water Meter

		UP389		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		389		7/2/25 10:16		3727'13.6765"N		795'34.4633"W		315.923		58024.825		0		UNKNOWN		0		8192		CLASSIC		OMNI PEAK		140		39.997		100		-88		6		16.567		0.357		2.489		Yes		7/2/25 10:16		RTK		31		1.01		0.49		0.88		10220		-1339		Yes		RTK		3D		2.2		2229		0.759		0.512		0.551		1.83				WME		Water Meter

		UP390		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		390		7/2/25 10:19		3727'14.2682"N		795'34.5640"W		60.573		58085.398		0		UNKNOWN		0		8192		CLASSIC		OMNI PEAK		140		24.966		100		-183		10		18.232		0.73		-16.149		Yes		7/2/25 10:19		RTK		32		1.04		0.52		0.91		10260		-1339		Yes		RTK		3D		2.2		2229		0.759		0.591		0.63		1.923				WME		Water Meter

		UP391		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		391		7/2/25 10:19		3727'15.1309"N		795'34.5640"W		87.522		58172.92		-0.001		UNKNOWN		0		8192		CLASSIC		OMNI PEAK		140		6.271		100		-118		1		14.255		-2.325		6.053		Yes		7/2/25 10:19		RTK		32		1.05		0.52		0.91		10294		-1339		Yes		RTK		3D		1		2229		0.948		0.433		0.551		2.084				WME		Water Meter

		UP392		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		392		7/2/25 10:21		3727'17.9088"N		795'35.7939"W		298.721		58471.641		0		UNKNOWN		336		8192		CLASSIC		OMNI PEAK		140		100		100		-17		5		7.743		-5.163		10.025		Yes		7/2/25 10:21		FLOAT RTK		32		1.04		0.52		0.9		10278		-1339		Yes		FLOAT RTK		3D		1		2229		5.522		2.761		0.669		12.347				WME		Water Meter

		UP393		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		393		7/2/25 10:21		3727'18.6474"N		795'36.3226"W		86.183		58557.824		0		UNKNOWN		86		8192		CLASSIC		OMNI PEAK		140		60.494		100		30		10		18.216		-2.511		6.043		Yes		7/2/25 10:21		RTK		32		1.04		0.52		0.9		10256		-1339		Yes		RTK		3D		1.2		2229		0.472		0.327		0.394		1.149				WME		Water Meter

		UP394		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		394		7/2/25 10:22		3727'19.4776"N		795'36.9366"W		97.671		58655.495		0		UNKNOWN		0		8192		CLASSIC		OMNI PEAK		140		11.119		100		-59		6		11.68		-0.353		-15.829		Yes		7/2/25 10:22		RTK		32		1.04		0.52		0.9		10223		-1339		Yes		RTK		3D		1		2229		0.759		0.433		0.591		1.747				WME		Water Meter

		UP395		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		395		7/2/25 10:23		3727'20.2180"N		795'37.4558"W		85.97		58741.466		0		UNKNOWN		0		8192		CLASSIC		OMNI PEAK		140		21.043		100		-65		5		10.684		-1.427		-16.175		Yes		7/2/25 10:23		RTK		32		1.07		0.55		0.91		10192		-1339		Yes		RTK		3D		1.2		2229		0.672		0.394		0.472		1.558				WME		Water Meter

		UP396		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		396		7/2/25 10:23		3727'21.3887"N		795'38.2583"W		135.214		58876.679		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.411		100		8		12		13.46		1.001		52.405		Yes		7/2/25 10:23		FLOAT RTK		32		1.12		0.56		0.98		10131		-1339		Yes		FLOAT RTK		3D		1.2		2229		4.601		3.681		0.906		11.785				WME		Water Meter

		UP397		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		397		7/2/25 10:24		3727'22.3624"N		795'38.7404"W		106.136		58982.815		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.893		100		-111		9		13.271		-1.053		31.518		Yes		7/2/25 10:24		RTK		32		1.06		0.55		0.91		10045		-1339		Yes		RTK		3D		1.6		2229		0.672		0.433		0.551		1.599				WME		Water Meter

		UP398		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		398		7/2/25 10:33		3727'22.5449"N		795'42.8889"W		334.606		59317.421		0		UNKNOWN		70		32768		CLASSIC		OMNI PEAK		140		43.446		100		6		9		13.661		0.343		87.9		Yes		7/2/25 10:33		RTK		32		1		0.52		0.85		10146		-1339		Yes		RTK		3D		2.4		2229		0.672		0.472		0.512		1.643				WME		Water Meter

		UP399		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		399		7/2/25 10:34		3727'23.2022"N		795'41.5729"W		125.213		59442.634		0		UNKNOWN		400		32768		CLASSIC		OMNI PEAK		140		45.851		100		-39		5		15.903		-1.653		-34.747		Yes		7/2/25 10:34		RTK		32		1		0.52		0.85		10068		-1339		Yes		RTK		3D		1.4		2229		0.948		0.551		0.63		2.192				WME		Water Meter

		UP400		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		400		7/2/25 10:37		3727'23.9444"N		795'41.4165"W		76.342		59518.976		0		UNKNOWN		8		32768		CLASSIC		OMNI PEAK		140		100		100		-6		10		15.088		1.338		9.545		Yes		7/2/25 10:37		RTK		32		1.08		0.57		0.92		10037		-1339		Yes		RTK		3D		1		2229		1.512		0.591		0.748		3.246				WME		Water Meter

		UP401		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		401		7/2/25 10:37		3727'23.8613"N		795'41.9316"W		42.326		59561.302		0		UNKNOWN		29		32768		CLASSIC		OMNI PEAK		140		100		100		-9		8		13.152		-1.069		-30.607		Yes		7/2/25 10:37		RTK		32		1.08		0.57		0.92		10101		-1339		Yes		RTK		3D		0.8		2229		2.362		1.05		0.984		5.17				WME		Water Meter

		UP402		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		402		7/2/25 10:38		3727'23.0615"N		795'43.1838"W		129.439		59690.741		0		UNKNOWN		16		32768		CLASSIC		OMNI PEAK		140		100		100		-2		7		20.794		-3.72		27.161		Yes		7/2/25 10:38		RTK		32		1.12		0.58		0.95		10155		-1339		Yes		RTK		3D		1.6		2229		0.85		0.433		0.551		1.909				WME		Water Meter

		UP403		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		403		7/2/25 10:41		3727'10.7579"N		795'34.4456"W		1432.917		61123.658		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		53.918		100		2		10		12.836		-3.949		4.121		Yes		7/2/25 10:42		FLOAT RTK		32		1.22		0.66		1.02		10169		-1339		Yes		FLOAT RTK		3D		1.4		2229		33.13		20.246		5.118		77.653				WME		Water Meter

		UP404		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		404		7/2/25 11:06		3727'20.9045"N		795'46.2960"W		1403.724		62527.382		0		UNKNOWN		1719		32768		CLASSIC		OMNI PEAK		140		5.562		100		-48		10		15.066		-0.123		-58.706		Yes		7/2/25 11:06		RTK		32		1.15		0.6		0.99		10116		-1339		Yes		RTK		3D		1		2229		0.551		0.394		0.433		1.355				WME		Water Meter

		UP405		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		405		7/2/25 11:06		3727'21.4405"N		795'45.6450"W		75.539		62602.921		0.002		UNKNOWN		12661		32768		CLASSIC		OMNI PEAK		140		26.035		100		54		4		17.282		-2.154		19.567		Yes		7/2/25 11:06		RTK		32		1.26		0.62		1.1		10153		-1339		Yes		RTK		3D		1.4		2229		1.388		0.85		0.709		3.256				WME		Water Meter

		UP406		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		406		7/2/25 11:07		3727'22.3377"N		795'46.9248"W		137.498		62740.419		0		UNKNOWN		372		32768		CLASSIC		OMNI PEAK		140		23.686		100		-4		9		15.939		-1.474		2.815		Yes		7/2/25 11:07		RTK		32		1.26		0.62		1.1		10106		-1339		Yes		RTK		3D		1.2		2229		1.512		0.759		0.669		3.383				WME		Water Meter

		UP407		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		407		7/2/25 11:08		3727'23.5589"N		795'48.6729"W		187.533		62927.952		0		UNKNOWN		52		32768		CLASSIC		OMNI PEAK		140		6.937		100		30		7		17.839		-2.802		71.702		Yes		7/2/25 11:08		RTK		32		1.26		0.62		1.09		10215		-1339		Yes		RTK		3D		2.2		2229		0.759		0.551		0.551		1.875				WME		Water Meter

		UP408		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		408		7/2/25 11:13		3727'22.2484"N		795'49.2883"W		141.881		63069.832		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.014		100		19		8		19.201		4.584		0.599		Yes		7/2/25 11:13		RTK		32		1.09		0.59		0.92		10061		-1339		Yes		RTK		3D		1		2229		0.551		0.472		0.472		1.452				WME		Water Meter

		UP409		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		409		7/2/25 11:18		3727'26.8962"N		795'50.9267"W		489.638		63559.47		0		UNKNOWN		80		32768		CLASSIC		OMNI PEAK		140		57.027		100		1		11		11.827		-0.166		16.088		Yes		7/2/25 11:18		RTK		32		1.12		0.63		0.93		10384		-1339		Yes		RTK		3D		1		2229		0.85		0.39		0.551		1.871				WME		Water Meter

		UP410		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		410		7/2/25 11:20		3727'27.0100"N		795'50.9252"W		11.545		63571.016		0		UNKNOWN		14		32768		CLASSIC		OMNI PEAK		140		100		100		0		10		15.164		-3.851		-89.245		Yes		7/2/25 11:20		FLOAT RTK		32		1.12		0.62		0.93		10392		-1339		Yes		FLOAT RTK		3D		1.4		2229		6.074		4.969		0.787		15.695				WME		Water Meter

		UP411		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		411		7/2/25 11:22		3727'28.0466"N		795'52.2753"W		151.261		63722.276		0		UNKNOWN		66		32768		CLASSIC		OMNI PEAK		140		42.724		100		-5		9		18.523		-0.47		-76.395		Yes		7/2/25 11:22		FLOAT RTK		32		1.01		0.57		0.83		10318		-1339		Yes		FLOAT RTK		3D		0.8		2229		4.233		3.313		0.669		10.751				WME		Water Meter

		UP412		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		412		7/2/25 11:25		3727'29.0141"N		795'52.9239"W		111.189		63833.465		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		25.471		100		-2		13		15.189		-5.399		79.694		Yes		7/2/25 11:25		RTK		32		1.05		0.6		0.86		10268		-1339		Yes		RTK		3D		1.4		2229		1.388		0.672		0.591		3.085				WME		Water Meter

		UP413		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		413		7/2/25 11:25		3727'29.9782"N		795'53.5860"W		111.394		63944.86		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		19.995		100		0		12		14.511		-1.77		25.816		Yes		7/2/25 11:25		RTK		32		1.07		0.63		0.87		10211		-1339		Yes		RTK		3D		1		2229		1.512		0.672		0.551		3.309				WME		Water Meter

		UP414		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		414		7/2/25 11:26		3727'30.7725"N		795'54.0970"W		90.478		64035.337		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		39.636		100		-2		7		13.575		-1.23		-1.115		Yes		7/2/25 11:26		RTK		32		1		0.59		0.81		10183		-1339		Yes		RTK		3D		1.2		2229		0.591		0.382		0.394		1.407				WME		Water Meter

		UP415		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		415		7/2/25 11:27		3727'31.7045"N		795'54.7054"W		106.494		64141.831		0		UNKNOWN		8		32768		CLASSIC		OMNI PEAK		140		100		100		-3		8		11.337		-2.28		9.042		Yes		7/2/25 11:27		RTK		32		0.99		0.58		0.8		10159		-1339		Yes		RTK		3D		0.6		2229		0.591		0.472		0.394		1.513				WME		Water Meter

		UP416		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		416		7/2/25 11:28		3727'32.2299"N		795'55.0322"W		59.443		64201.274		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		0		13		12.421		-2.5		43.122		Yes		7/2/25 11:28		RTK		32		1.04		0.59		0.85		10155		-1339		Yes		RTK		3D		2		2229		0.551		0.362		0.394		1.319				WME		Water Meter

		UP417		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		417		7/2/25 11:29		3727'33.3901"N		795'55.7545"W		131.29		64332.564		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		59.858		100		-3		9		18.541		-0.191		41.286		Yes		7/2/25 11:29		RTK		32		1.04		0.59		0.85		10151		-1339		Yes		RTK		3D		1		2229		0.85		0.472		0.433		1.946				WME		Water Meter

		UP418		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		418		7/2/25 11:30		3727'34.9487"N		795'56.5827"W		171.61		64504.174		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		17.442		100		-7		7		11.903		-1.794		-33.79		Yes		7/2/25 11:30		RTK		32		1.06		0.62		0.86		10107		-1339		Yes		RTK		3D		1.6		2229		0.591		0.327		0.394		1.35				WME		Water Meter

		UP419		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		419		7/2/25 11:30		3727'35.8019"N		795'57.0010"W		92.884		64597.058		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		3		10		12.524		-1.718		80.082		Yes		7/2/25 11:30		RTK		32		1.04		0.6		0.85		10084		-1339		Yes		RTK		3D		0.8		2229		1.05		0.512		0.472		2.336				WME		Water Meter

		UP420		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		420		7/2/25 11:31		3727'36.6683"N		795'57.4878"W		96.246		64693.304		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		40.579		100		-3		13		10.479		-3.868		-83.849		Yes		7/2/25 11:31		RTK		32		1.04		0.6		0.85		10073		-1339		Yes		RTK		3D		1.4		2229		0.948		0.551		0.472		2.192				WME		Water Meter

		UP421		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		421		7/2/25 11:32		3727'37.2474"N		795'57.8339"W		65.025		64758.329		0		UNKNOWN		5		32768		CLASSIC		OMNI PEAK		140		100		100		-1		10		15.329		-3.689		8.308		Yes		7/2/25 11:32		RTK		32		1.04		0.6		0.85		10085		-1339		Yes		RTK		3D		1		2229		0.85		0.433		0.394		1.909				WME		Water Meter

		UP422		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		422		7/2/25 11:33		3727'38.9467"N		795'58.7065"W		186.163		64944.492		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		31.107		100		-5		9		14.811		-1.759		82.22		Yes		7/2/25 11:33		RTK		32		1.03		0.6		0.84		10137		-1339		Yes		RTK		3D		0.6		2229		0.672		0.433		0.394		1.599				WME		Water Meter

		UP423		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		423		7/2/25 11:34		3727'40.0434"N		795'59.3207"W		121.76		65066.252		0		UNKNOWN		21		32768		CLASSIC		OMNI PEAK		140		100		100		2		10		10.322		-5.511		-79.945		Yes		7/2/25 11:34		RTK		32		1.04		0.6		0.84		10122		-1339		Yes		RTK		3D		0.8		2229		0.591		0.433		0.394		1.465				WME		Water Meter

		UP424		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		424		7/2/25 11:36		3727'41.6974"N		796'0.2375"W		183.319		65249.571		0		UNKNOWN		15		32768		CLASSIC		OMNI PEAK		140		75.754		100		7		10		13.194		3.335		28.403		Yes		7/2/25 11:36		RTK		32		1.1		0.64		0.89		10182		-1339		Yes		RTK		3D		1.6		2229		0.759		0.394		0.394		1.709				WME		Water Meter

		UP425		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		425		7/2/25 11:38		3727'42.5656"N		796'2.3509"W		191.632		65441.203		0		UNKNOWN		29		32768		CLASSIC		OMNI PEAK		140		100		100		1		6		14.732		2.004		-3.174		Yes		7/2/25 11:38		RTK		32		1.08		0.64		0.87		10234		-1339		Yes		RTK		3D		1		2229		1.512		0.85		0.669		3.469				WME		Water Meter

		UP426		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		426		7/2/25 11:39		3727'41.4998"N		796'0.7926"W		165.639		65606.842		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		-6		6		13.232		-1.151		-23.049		Yes		7/2/25 11:39		RTK		32		1.17		0.67		0.96		10161		-1339		Yes		RTK		3D		1.4		2229		1.388		0.551		0.512		2.988				WME		Water Meter

		UP427		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		427		7/2/25 11:40		3727'40.3111"N		796'0.1764"W		130.41		65737.252		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		31.752		100		-1		11		11.261		-0.725		-61.027		Yes		7/2/25 11:40		RTK		32		1.08		0.64		0.86		10101		-1339		Yes		RTK		3D		1		2229		0.472		0.327		0.394		1.149				WME		Water Meter

		UP428		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		428		7/2/25 11:40		3727'39.3620"N		795'59.6381"W		105.594		65842.846		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		11.013		100		4		9		15.919		0.419		36.722		Yes		7/2/25 11:40		RTK		32		1.01		0.58		0.82		10107		-1339		Yes		RTK		3D		1.8		2229		1.913		0.85		0.63		4.188				WME		Water Meter

		UP429		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		429		7/2/25 11:41		3727'38.6660"N		795'59.2640"W		76.766		65919.612		0		UNKNOWN		7		32768		CLASSIC		OMNI PEAK		140		100		100		-1		7		16.089		-0.924		9.242		Yes		7/2/25 11:41		RTK		32		1.01		0.58		0.82		10126		-1339		Yes		RTK		3D		1.6		2229		0.672		0.472		0.394		1.643				WME		Water Meter

		UP430		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		430		7/2/25 11:41		3727'37.7759"N		795'58.8201"W		97.116		66016.728		0		UNKNOWN		5		32768		CLASSIC		OMNI PEAK		140		100		100		-2		9		15.073		-1.427		78.035		Yes		7/2/25 11:41		RTK		32		1.01		0.58		0.82		10112		-1339		Yes		RTK		3D		0.8		2229		0.591		0.433		0.394		1.465				WME		Water Meter

		UP431		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		431		7/2/25 11:42		3727'36.9882"N		795'58.3256"W		89.29		66106.018		0		UNKNOWN		7		32768		CLASSIC		OMNI PEAK		140		100		100		-8		5		15.946		-3.491		29.639		Yes		7/2/25 11:42		RTK		32		0.96		0.56		0.78		10072		-1339		Yes		RTK		3D		1.2		2229		0.85		0.472		0.433		1.946				WME		Water Meter

		UP432		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		432		7/2/25 11:43		3727'35.2074"N		795'57.4578"W		193.705		66299.723		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		11		10		12.721		0.099		-74.21		Yes		7/2/25 11:43		RTK		32		1.06		0.64		0.84		10084		-1339		Yes		RTK		3D		1.6		2229		2.058		0.948		0.709		4.531				WME		Water Meter

		UP433		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		433		7/2/25 11:44		3727'34.0615"N		795'56.8915"W		124.878		66424.601		0		UNKNOWN		131		32768		CLASSIC		OMNI PEAK		140		28.496		100		0		13		10.437		1.788		2.885		Yes		7/2/25 11:44		RTK		32		1.06		0.64		0.84		10121		-1339		Yes		RTK		3D		1.6		2229		1.388		0.672		0.591		3.085				WME		Water Meter

		UP434		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		434		7/2/25 11:45		3727'32.7242"N		795'56.0718"W		150.88		66575.481		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		20.016		100		19		11		13.864		-1.357		57.627		Yes		7/2/25 11:45		RTK		32		1.03		0.6		0.84		10155		-1339		Yes		RTK		3D		0.6		2229		1.157		0.551		0.551		2.564				WME		Water Meter

		UP435		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		435		7/2/25 11:45		3727'31.4096"N		795'55.1776"W		151.565		66727.046		0		UNKNOWN		33		32768		CLASSIC		OMNI PEAK		140		85.501		100		0		12		13.968		1.653		-43.528		Yes		7/2/25 11:45		RTK		32		1.03		0.6		0.84		10134		-1339		Yes		RTK		3D		1		2229		1.05		0.551		0.512		2.372				WME		Water Meter

		UP436		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		436		7/2/25 11:46		3727'30.7562"N		795'54.8212"W		72.232		66799.278		0		UNKNOWN		40		32768		CLASSIC		OMNI PEAK		140		84.104		100		18		7		12.779		0.253		28.009		Yes		7/2/25 11:46		RTK		32		1.07		0.63		0.86		10153		-1339		Yes		RTK		3D		0.8		2229		1.388		0.512		0.512		2.96				WME		Water Meter

		UP437		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		437		7/2/25 11:46		3727'29.9975"N		795'54.3901"W		84.431		66883.71		0		UNKNOWN		40		32768		CLASSIC		OMNI PEAK		140		52.199		100		0		11		12.95		-1.421		-80.655		Yes		7/2/25 11:46		RTK		32		1.03		0.6		0.84		10192		-1339		Yes		RTK		3D		1		2229		0.591		0.472		0.433		1.513				WME		Water Meter

		UP438		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		438		7/2/25 11:47		3727'28.6043"N		795'53.4880"W		158.92		67042.629		0		UNKNOWN		26		32768		CLASSIC		OMNI PEAK		140		100		100		-3		9		13.818		1.572		54.75		Yes		7/2/25 11:47		RTK		32		1.43		0.8		1.19		10239		-1339		Yes		RTK		3D		1.2		2229		1.157		0.551		0.551		2.564				WME		Water Meter

		UP439		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		439		7/2/25 11:49		3727'24.8499"N		795'51.3448"W		418.165		67460.794		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		47.393		100		0		12		10.32		2.218		49.125		Yes		7/2/25 11:49		RTK		32		1.11		0.63		0.92		10323		-1339		Yes		RTK		3D		1.4		2229		0.948		0.512		0.512		2.154				WME		Water Meter

		UP440		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		440		7/2/25 11:53		3727'42.5248"N		795'57.6699"W		1864.068		69324.862		0		UNKNOWN		23		32768		CLASSIC		OMNI PEAK		140		100		100		2		5		15.436		3.199		41.261		Yes		7/2/25 11:53		RTK		32		1.02		0.59		0.83		10170		-1339		Yes		RTK		3D		0.6		2229		1.27		0.759		0.63		2.959				WME		Water Meter

		UP441		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		441		7/2/25 11:54		3727'42.7720"N		795'55.9169"W		143.376		69468.238		0		UNKNOWN		14		32768		CLASSIC		OMNI PEAK		140		100		100		0		13		14.147		-3.471		40.845		Yes		7/2/25 11:54		FLOAT RTK		32		1.02		0.59		0.83		10186		-1339		Yes		FLOAT RTK		3D		0.6		2229		6.074		4.417		0.63		15.021				WME		Water Meter

		UP442		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		442		7/2/25 11:54		3727'42.8489"N		795'55.5001"W		34.455		69502.693		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		33.713		100		3		8		15.178		-1.127		-5.663		Yes		7/2/25 11:54		FLOAT RTK		32		1.02		0.59		0.83		10183		-1339		Yes		FLOAT RTK		3D		2.2		2229		3.129		2.577		0.433		8.107				WME		Water Meter

		UP443		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		443		7/2/25 12:56		3727'30.0625"N		796'6.4587"W		1568.901		71071.595		0		UNKNOWN		77		32768		CLASSIC		OMNI PEAK		140		81.143		100		39		7		13.98		5.864		-85.904		Yes		7/2/25 12:56		RTK		32		1.17		0.57		1.02		9746		-1339		Yes		RTK		3D		1.4		2229		0.551		0.512		0.433		1.504				WME		Water Meter

		UP444		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		444		7/2/25 12:56		3727'30.7675"N		796'5.7619"W		90.903		71162.498		0		UNKNOWN		20		32768		CLASSIC		OMNI PEAK		140		88.071		100		0		12		18.672		-12.672		28.158		Yes		7/2/25 12:56		RTK		32		1.17		0.57		1.02		9729		-1339		Yes		RTK		3D		1.2		2229		0.551		0.433		0.433		1.402				WME		Water Meter

		UP445		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		445		7/2/25 12:57		3727'30.3909"N		796'4.7726"W		88.352		71250.85		0		UNKNOWN		25		32768		CLASSIC		OMNI PEAK		140		86.152		100		6		7		36.981		7.28		-47.263		Yes		7/2/25 12:57		RTK		32		1.16		0.57		1.02		9817		-1339		Yes		RTK		3D		1.2		2229		0.759		0.591		0.472		1.923				WME		Water Meter

		UP446		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		446		7/2/25 12:59		3727'31.3512"N		796'1.7455"W		262.527		71513.377		0		UNKNOWN		152		32768		CLASSIC		OMNI PEAK		140		33.342		100		1		13		14.944		0.271		42.002		Yes		7/2/25 12:59		RTK		32		1.21		0.58		1.07		9800		-1339		Yes		RTK		3D		1.4		2229		0.512		0.472		0.433		1.393				WME		Water Meter

		UP447		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		447		7/2/25 12:59		3727'30.4668"N		796'0.7776"W		118.852		71632.229		0		UNKNOWN		64		32768		CLASSIC		OMNI PEAK		140		87.24		100		0		10		21.512		-7.898		-10.457		Yes		7/2/25 12:59		RTK		32		1.15		0.57		1		9914		-1339		Yes		RTK		3D		1.4		2229		0.433		0.354		0.394		1.119				WME		Water Meter

		UP448		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		448		7/2/25 13:00		3727'31.2280"N		795'58.7314"W		181.979		71814.208		0		UNKNOWN		7		32768		CLASSIC		OMNI PEAK		140		100		100		-1		11		21.744		1.544		-36.76		Yes		7/2/25 13:00		RTK		31		1.16		0.58		1		9968		-1339		Yes		RTK		3D		0.8		2229		0.85		0.512		0.591		1.985				WME		Water Meter

		UP449		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		449		7/2/25 13:02		3727'32.3708"N		795'58.5824"W		116.56		71930.768		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		140		100		100		-9		8		12.824		-4.2		-28.883		Yes		7/2/25 13:02		RTK		32		1.14		0.57		0.99		10069		-1339		Yes		RTK		3D		1.6		2229		0.85		0.591		0.551		2.071				WME		Water Meter

		UP450		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		450		7/2/25 13:02		3727'31.2263"N		795'59.6157"W		142.851		72073.619		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		20.027		100		-6		8		11.512		-7.447		7.868		Yes		7/2/25 13:02		RTK		32		1.14		0.56		0.99		9911		-1339		Yes		RTK		3D		1		2229		0.551		0.433		0.433		1.402				WME		Water Meter

		UP451		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		451		7/2/25 13:04		3727'32.6106"N		796'2.0782"W		243.003		72316.622		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		-6		11		6.513		8.81		-41.529		Yes		7/2/25 13:04		RTK		32		1.22		0.59		1.06		9841		-1339		Yes		RTK		3D		1		2229		0.591		0.551		0.472		1.616				WME		Water Meter

		UP452		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		452		7/2/25 13:04		3727'32.6952"N		796'2.2518"W		16.403		72333.025		0		UNKNOWN		51		32768		CLASSIC		OMNI PEAK		140		68.494		100		-17		10		10.844		-4.541		60.986		Yes		7/2/25 13:04		RTK		32		1.13		0.56		0.98		9824		-1339		Yes		RTK		3D		1.4		2229		0.512		0.433		0.394		1.341				WME		Water Meter

		UP453		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		453		7/2/25 13:05		3727'33.8084"N		796'3.2965"W		140.83		72473.855		0		UNKNOWN		67		32768		CLASSIC		OMNI PEAK		140		77.183		100		1		11		11.385		0.248		4.14		Yes		7/2/25 13:05		RTK		32		1.16		0.58		1		9769		-1339		Yes		RTK		3D		0.8		2229		0.948		0.512		0.433		2.154				WME		Water Meter

		UP454		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		454		7/2/25 13:06		3727'34.6585"N		796'4.0805"W		106.886		72580.741		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		140		100		100		0		12		13.648		-4.57		-7.606		Yes		7/2/25 13:06		RTK		32		1.08		0.55		0.93		9722		-1339		Yes		RTK		3D		1.4		2229		0.591		0.472		0.472		1.513				WME		Water Meter

		UP455		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		455		7/2/25 13:09		3727'36.2499"N		796'4.7318"W		169.742		72750.483		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		29.699		100		-12		10		10.998		-5.762		3.662		Yes		7/2/25 13:09		RTK		32		1.13		0.56		0.99		9728		-1339		Yes		RTK		3D		0.8		2229		0.85		0.591		0.472		2.071				WME		Water Meter

		UP456		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		456		7/2/25 13:09		3727'37.0480"N		796'4.2768"W		88.872		72839.355		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		7.93		100		0		13		17.801		-2.258		53.596		Yes		7/2/25 13:09		FLOAT RTK		32		1.13		0.56		0.98		9757		-1339		Yes		FLOAT RTK		3D		0.8		2229		3.129		2.025		0.433		7.454				WME		Water Meter

		UP457		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		457		7/2/25 13:11		3727'37.5273"N		796'4.4637"W		50.906		72890.261		0		UNKNOWN		18		32768		CLASSIC		OMNI PEAK		140		50.672		100		7		11		24.111		2.009		-68.581		Yes		7/2/25 13:11		RTK		31		1.14		0.57		0.98		9781		-1339		Yes		RTK		3D		1.2		2229		0.759		0.591		0.512		1.923				WME		Water Meter

		UP458		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		458		7/2/25 13:11		3727'37.6824"N		796'4.9697"W		43.683		72933.943		0		UNKNOWN		174		32768		CLASSIC		OMNI PEAK		140		46.224		100		-2		11		10.557		-7.601		64.414		Yes		7/2/25 13:11		RTK		31		1.13		0.56		0.98		9788		-1339		Yes		RTK		3D		1		2229		0.759		0.591		0.472		1.923				WME		Water Meter

		UP459		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		459		7/2/25 13:12		3727'37.1239"N		796'5.3862"W		65.839		72999.782		0		UNKNOWN		8		32768		CLASSIC		OMNI PEAK		140		100		100		8		11		11.31		-3.077		13.173		Yes		7/2/25 13:12		RTK		31		1.13		0.56		0.98		9779		-1339		Yes		RTK		3D		1.4		2229		0.512		0.433		0.394		1.341				WME		Water Meter

		UP460		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		460		7/2/25 13:13		3727'35.5481"N		796'6.7369"W		193.364		73193.145		0		UNKNOWN		52		32768		CLASSIC		OMNI PEAK		140		63.739		100		-9		10		19.41		-5.116		-6.788		Yes		7/2/25 13:13		RTK		31		1.12		0.56		0.97		9816		-1339		Yes		RTK		3D		1		2229		0.394		0.386		0.394		1.102				WME		Water Meter

		UP461		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		461		7/2/25 13:13		3727'35.3838"N		796'7.8927"W		94.557		73287.702		0		UNKNOWN		16		32768		CLASSIC		OMNI PEAK		140		100		100		3		9		16.506		-0.207		4.926		Yes		7/2/25 13:13		RTK		31		1.12		0.56		0.97		9813		-1339		Yes		RTK		3D		1.6		2229		0.759		0.672		0.512		2.027				WME		Water Meter

		UP462		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		462		7/2/25 13:14		3727'34.8653"N		796'9.2104"W		118.434		73406.136		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		35.398		100		10		7		17.281		-9.016		-60.188		Yes		7/2/25 13:14		RTK		32		1.12		0.56		0.97		9891		-1339		Yes		RTK		3D		1.6		2229		0.672		0.551		0.472		1.738				WME		Water Meter

		UP463		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		463		7/2/25 13:14		3727'34.1031"N		796'10.3907"W		122.529		73528.665		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		-9		9		18.555		2.245		-47.179		Yes		7/2/25 13:14		RTK		31		1.12		0.56		0.96		9945		-1339		Yes		RTK		3D		1.6		2229		0.551		0.472		0.433		1.452				WME		Water Meter

		UP464		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		464		7/2/25 13:15		3727'33.4983"N		796'11.3474"W		98.495		73627.16		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		5.702		100		1		13		11.309		-5.705		23.77		Yes		7/2/25 13:15		RTK		32		1.12		0.57		0.97		9973		-1339		Yes		RTK		3D		0.6		2229		3.034		1.157		0.866		6.495				WME		Water Meter

		UP465		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		465		7/2/25 13:15		3727'33.2111"N		796'11.7591"W		44.138		73671.298		0		UNKNOWN		256		32768		CLASSIC		OMNI PEAK		140		95.3		100		-3		7		17.885		-0.086		-53.311		Yes		7/2/25 13:15		RTK		32		1.11		0.56		0.96		9969		-1339		Yes		RTK		3D		0.6		2229		1.27		0.591		0.591		2.802				WME		Water Meter

		UP466		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		466		7/2/25 13:16		3727'32.5532"N		796'12.8284"W		108.943		73780.24		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		-14		8		19.211		-2.101		-18.801		Yes		7/2/25 13:16		RTK		32		1.11		0.56		0.96		9998		-1339		Yes		RTK		3D		1.4		2229		0.85		0.759		0.591		2.279				WME		Water Meter

		UP467		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		467		7/2/25 13:16		3727'32.1934"N		796'13.4990"W		65.185		73845.425		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		44.406		100		1		10		25.714		-1.497		-45.16		Yes		7/2/25 13:16		RTK		31		1.11		0.56		0.96		9988		-1339		Yes		RTK		3D		1		2229		0.85		0.759		0.63		2.279				WME		Water Meter

		UP468		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		468		7/2/25 13:17		3727'31.5558"N		796'14.4410"W		99.696		73945.121		0		UNKNOWN		39		32768		CLASSIC		OMNI PEAK		140		54.734		100		10		8		12.935		-11.623		-16.406		Yes		7/2/25 13:17		RTK		32		1.11		0.56		0.95		9930		-1339		Yes		RTK		3D		0.8		2229		0.672		0.512		0.394		1.689				WME		Water Meter

		UP469		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		469		7/2/25 13:17		3727'30.9174"N		796'15.4741"W		105.432		74050.553		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		32.528		100		-5		9		22.562		-4.054		-46.562		Yes		7/2/25 13:17		RTK		32		1.07		0.55		0.92		9906		-1339		Yes		RTK		3D		1.8		2229		0.512		0.37		0.394		1.263				WME		Water Meter

		UP470		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		470		7/2/25 13:18		3727'30.1260"N		796'16.6679"W		125.253		74175.806		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		44.816		100		-1		9		20.943		-4.343		13.976		Yes		7/2/25 13:18		RTK		31		1.07		0.55		0.92		9870		-1339		Yes		RTK		3D		1.4		2229		0.35		0.343		0.394		0.98				WME		Water Meter

		UP471		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		471		7/2/25 13:18		3727'29.6330"N		796'17.3245"W		72.786		74248.592		0		UNKNOWN		30		32768		CLASSIC		OMNI PEAK		140		84.769		100		-10		7		4.912		-5.117		46.664		Yes		7/2/25 13:18		RTK		32		1.07		0.55		0.91		9804		-1339		Yes		RTK		3D		1.2		2229		1.27		0.948		0.63		3.17				WME		Water Meter

		UP472		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		472		7/2/25 13:21		3727'28.9591"N		796'18.8712"W		142.089		74390.681		0		UNKNOWN		16		32768		CLASSIC		OMNI PEAK		140		99.748		100		0		12		15.634		2.089		-67.608		Yes		7/2/25 13:21		RTK		32		1.09		0.56		0.93		9796		-1339		Yes		RTK		3D		1.2		2229		1.27		0.759		0.591		2.959				WME		Water Meter

		UP473		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		473		7/2/25 13:24		3727'28.3042"N		796'19.0556"W		68.073		74458.754		0		UNKNOWN		22		32768		CLASSIC		OMNI PEAK		140		68.616		100		-8		10		12.469		-2.002		57.194		Yes		7/2/25 13:24		RTK		32		1.07		0.56		0.91		9764		-1339		Yes		RTK		3D		1		2229		0.591		0.512		0.472		1.563				WME		Water Meter

		UP474		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		474		7/2/25 13:25		3727'28.4879"N		796'17.9821"W		88.439		74547.194		0		UNKNOWN		72		32768		CLASSIC		OMNI PEAK		140		64.317		100		-28		7		13.702		4.304		-21.971		Yes		7/2/25 13:25		FLOAT RTK		32		1.07		0.56		0.91		9715		-1339		Yes		FLOAT RTK		3D		1.2		2229		11.964		8.282		1.339		29.102				WME		Water Meter

		UP475		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		475		7/2/25 13:26		3727'27.2422"N		796'15.8920"W		210.481		74757.675		0		UNKNOWN		71		32768		CLASSIC		OMNI PEAK		140		70.089		100		5		10		11.314		-6.102		-24.845		Yes		7/2/25 13:26		RTK		32		1.07		0.58		0.9		9511		-1339		Yes		RTK		3D		1.8		2229		1.774		1.157		0.748		4.237				WME		Water Meter

		UP476		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		476		7/2/25 13:26		3727'26.8367"N		796'15.5672"W		48.753		74806.428		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		15		12		3.381		-0.783		4.925		Yes		7/2/25 13:26		RTK		32		1.03		0.55		0.88		9477		-1339		Yes		RTK		3D		1.2		2229		1.157		0.948		0.669		2.992				WME		Water Meter

		UP477		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		477		7/2/25 13:28		3727'26.9926"N		796'14.4097"W		94.548		74900.976		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		100		100		-1		5		13.957		0.996		-78.229		Yes		7/2/25 13:28		RTK		32		1.07		0.56		0.91		9464		-1339		Yes		RTK		3D		1		2229		0.759		0.672		0.512		2.027				WME		Water Meter

		UP478		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		478		7/2/25 13:30		3727'29.4167"N		796'16.5568"W		300.629		75201.605		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		47.097		100		0		10		15.648		-0.272		13.937		Yes		7/2/25 13:30		RTK		32		1.12		0.59		0.95		9806		-1339		Yes		RTK		3D		1.6		2229		0.672		0.591		0.512		1.789				WME		Water Meter

		UP479		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		479		7/2/25 13:30		3727'29.9728"N		796'15.6566"W		91.863		75293.467		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		3.293		100		-2		12		14.063		-7.741		42.707		Yes		7/2/25 13:30		RTK		32		1.01		0.55		0.85		9846		-1339		Yes		RTK		3D		1.2		2229		0.551		0.512		0.433		1.504				WME		Water Meter

		UP480		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		480		7/2/25 13:31		3727'30.5875"N		796'14.7073"W		98.655		75392.122		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		4.025		100		-1		12		10.439		-1.616		-27.463		Yes		7/2/25 13:31		RTK		32		0.98		0.54		0.82		9863		-1339		Yes		RTK		3D		1		2229		0.948		0.512		0.551		2.154				WME		Water Meter

		UP481		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		481		7/2/25 13:31		3727'31.2149"N		796'13.7165"W		102.064		75494.186		0		UNKNOWN		17		32768		CLASSIC		OMNI PEAK		140		69.952		100		9		10		8.213		-7.677		-69.511		Yes		7/2/25 13:31		RTK		32		1.01		0.55		0.85		9896		-1339		Yes		RTK		3D		1.4		2229		1.157		0.759		0.63		2.768				WME		Water Meter

		UP482		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		482		7/2/25 13:32		3727'31.9021"N		796'12.6829"W		108.581		75602.767		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		-3		12		8.706		0.47		-51.571		Yes		7/2/25 13:32		RTK		32		1.01		0.55		0.85		9915		-1339		Yes		RTK		3D		1.2		2229		0.948		0.672		0.591		2.323				WME		Water Meter

		UP483		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		483		7/2/25 13:32		3727'32.5297"N		796'11.6533"W		104.54		75707.307		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		13		9		19.142		-1.986		-10.504		Yes		7/2/25 13:32		RTK		32		1		0.55		0.84		9942		-1339		Yes		RTK		3D		1.2		2229		0.759		0.591		0.512		1.923				WME		Water Meter

		UP484		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		484		7/2/25 13:33		3727'33.2254"N		796'10.6368"W		108.081		75815.388		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		37.635		100		8		6		2.632		-0.449		45.624		Yes		7/2/25 13:33		DGPS SPS VALID		32		1		0.55		0.84		9939		-1339		Yes		DIFFERENTIAL		3D		0.8		2229		2.838		2.424		2.283		7.464				WME		Water Meter

		UP485		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		485		7/2/25 13:33		3727'33.1970"N		796'10.5920"W		4.609		75819.997		0		UNKNOWN		55		32768		CLASSIC		OMNI PEAK		140		100		100		0		11		18.272		-1.764		43.212		Yes		7/2/25 13:33		FLOAT RTK		32		1		0.57		0.83		9947		-1339		Yes		FLOAT RTK		3D		3.8		2229		7.546		5.706		1.26		18.921				WME		Water Meter

		UP486		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		486		7/2/25 13:33		3727'33.7866"N		796'9.7099"W		92.864		75912.861		0		UNKNOWN		604		32768		CLASSIC		OMNI PEAK		140		17.149		100		9		7		8.741		-8.45		-54.943		Yes		7/2/25 13:33		RTK		32		0.97		0.54		0.81		9912		-1339		Yes		RTK		3D		1.2		2229		0.591		0.433		0.512		1.465				WME		Water Meter

		UP487		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		487		7/2/25 13:34		3727'34.5273"N		796'8.5847"W		117.718		76030.579		0		UNKNOWN		78		32768		CLASSIC		OMNI PEAK		140		94.426		100		5		9		14.987		-8.669		-11.461		Yes		7/2/25 13:34		RTK		32		1.01		0.56		0.85		9827		-1339		Yes		RTK		3D		1.4		2229		0.394		0.366		0.394		1.075				WME		Water Meter

		UP488		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		488		7/2/25 13:35		3727'35.0016"N		796'6.5692"W		169.288		76199.867		0		UNKNOWN		598		32768		CLASSIC		OMNI PEAK		140		57.656		100		6		11		16.189		-0.529		-2.536		Yes		7/2/25 13:35		RTK		32		0.93		0.52		0.77		9777		-1339		Yes		RTK		3D		0.8		2229		0.512		0.433		0.394		1.341				WME		Water Meter

		UP489		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		489		7/2/25 13:36		3727'33.8568"N		796'4.1835"W		224.502		76424.369		0		UNKNOWN		18		32768		CLASSIC		OMNI PEAK		140		84.636		100		-2		12		10.786		-4.249		-63.197		Yes		7/2/25 13:36		RTK		31		0.94		0.53		0.78		9745		-1339		Yes		RTK		3D		1.2		2229		1.27		0.672		0.591		2.874				WME		Water Meter

		UP490		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		490		7/2/25 13:37		3727'33.0468"N		796'3.3474"W		106.236		76530.605		0		UNKNOWN		80		32768		CLASSIC		OMNI PEAK		140		41.591		100		0		9		11.251		0.013		33.488		Yes		7/2/25 13:37		FLOAT RTK		32		0.92		0.52		0.76		9764		-1339		Yes		FLOAT RTK		3D		1.6		2229		20.246		15.277		2.717		50.726				WME		Water Meter

		UP491		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		491		7/2/25 13:47		3727'26.5672"N		796'22.3458"W		1665.201		78195.806		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		140		100		100		-5		11		13.889		-1.293		-67.488		Yes		7/2/25 13:47		RTK		31		0.99		0.57		0.81		9584		-1339		Yes		RTK		3D		1.8		2229		1.388		1.157		0.669		3.615				WME		Water Meter

		UP492		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		492		7/2/25 13:47		3727'25.1388"N		796'20.8554"W		188.152		78383.958		0		UNKNOWN		7		32768		CLASSIC		OMNI PEAK		140		100		100		9		11		22.544		-1.449		58.363		Yes		7/2/25 13:48		RTK		32		1.06		0.6		0.87		9542		-1339		Yes		RTK		3D		1		2229		0.433		0.327		0.394		1.085				WME		Water Meter

		UP493		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		493		7/2/25 13:49		3727'24.4929"N		796'20.1155"W		88.573		78472.531		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		140		81.337		100		0		11		13.032		-0.017		-72.789		Yes		7/2/25 13:49		RTK		32		1.04		0.59		0.86		9546		-1339		Yes		RTK		3D		1.8		2229		0.672		0.512		0.433		1.689				WME		Water Meter

		UP494		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		494		7/2/25 13:50		3727'23.7931"N		796'19.4276"W		90.046		78562.577		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		140		100		100		0		11		13.137		2.606		-28.998		Yes		7/2/25 13:51		RTK		31		1.08		0.61		0.89		9470		-1339		Yes		RTK		3D		4.6		2229		1.388		0.85		0.591		3.256				WME		Water Meter

		UP495		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		495		7/2/25 13:53		3727'27.7139"N		796'23.4379"W		512.361		79074.938		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		48		11		10.409		5.515		-34.779		Yes		7/2/25 13:53		RTK		32		1.07		0.61		0.89		9652		-1339		Yes		RTK		3D		1.6		2229		1.05		0.759		0.591		2.59				WME		Water Meter

		UP496		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		496		7/2/25 14:11		3727'31.3539"N		796'22.2914"W		380.654		79455.592		0		UNKNOWN		232		32768		CLASSIC		OMNI PEAK		140		67.757		100		-6		10		14.703		-0.143		-66.21		Yes		7/2/25 14:12		RTK		32		1.1		0.64		0.89		9873		-1339		Yes		RTK		3D		3.4		2229		0.948		0.591		0.63		2.233				WME		Water Meter

		UP497		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		497		7/2/25 14:13		3727'33.0981"N		796'21.1877"W		198.01		79653.602		0		UNKNOWN		28		32768		CLASSIC		OMNI PEAK		140		100		100		-8		6		14.773		-0.276		-53.452		Yes		7/2/25 14:13		FLOAT RTK		32		1.24		0.68		1.04		9953		-1339		Yes		FLOAT RTK		3D		2		2229		18.037		17.485		3.11		50.243				WME		Water Meter

		UP498		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		498		7/2/25 14:13		3727'34.0619"N		796'20.5828"W		109.247		79762.849		0		UNKNOWN		14		32768		CLASSIC		OMNI PEAK		140		100		100		-1		10		13.105		-2.198		20.772		Yes		7/2/25 14:13		RTK		32		1.01		0.58		0.82		10032		-1339		Yes		RTK		3D		0.8		2229		5.081		1.774		1.496		10.764				WME		Water Meter

		UP499		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		499		7/2/25 14:14		3727'34.8106"N		796'20.0275"W		88.139		79850.988		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		30.903		100		4		11		13.314		0.878		17.993		Yes		7/2/25 14:14		RTK		32		1.23		0.68		1.03		10113		-1339		Yes		RTK		3D		1.4		2229		1.512		0.672		0.748		3.309				WME		Water Meter

		UP500		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		500		7/2/25 14:14		3727'35.6118"N		796'19.5932"W		88.485		79939.474		0		UNKNOWN		1		32768		CLASSIC		OMNI PEAK		140		100		100		-2		8		13.209		-1.824		6.456		Yes		7/2/25 14:14		RTK		32		1.07		0.61		0.88		10179		-1339		Yes		RTK		3D		1.6		2229		0.472		0.382		0.394		1.215				WME		Water Meter

		UP501		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		501		7/2/25 14:15		3727'36.1671"N		796'19.2004"W		64.605		80004.078		0		UNKNOWN		10		32768		CLASSIC		OMNI PEAK		140		100		100		0		9		13.469		-1.447		7.731		Yes		7/2/25 14:15		RTK		31		1.07		0.61		0.88		10232		-1339		Yes		RTK		3D		1		2229		0.948		0.759		0.591		2.427				WME		Water Meter

		UP502		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		502		7/2/25 14:17		3727'38.0802"N		796'18.0170"W		216.222		80220.3		0		UNKNOWN		8		32768		CLASSIC		OMNI PEAK		140		86.451		100		8		9		10.722		-0.309		73.873		Yes		7/2/25 14:17		RTK		31		1.16		0.64		0.97		10363		-1339		Yes		RTK		3D		0.8		2229		1.27		0.672		0.63		2.874				WME		Water Meter

		UP503		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		503		7/2/25 14:18		3727'39.2776"N		796'17.2306"W		136.994		80357.294		0		UNKNOWN		5		32768		CLASSIC		OMNI PEAK		140		100		100		5		3		11.584		-1.678		12.379		Yes		7/2/25 14:18		RTK		31		1.16		0.64		0.97		10391		-1339		Yes		RTK		3D		1.2		2229		1.388		0.948		0.709		3.362				WME		Water Meter

		UP504		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		504		7/2/25 14:21		3727'40.2939"N		796'16.4611"W		120.295		80477.589		0		UNKNOWN		87		32768		CLASSIC		OMNI PEAK		140		68.605		100		-3		9		11.625		0.02		45.392		Yes		7/2/25 14:21		FLOAT RTK		31		1.16		0.64		0.97		10430		-1339		Yes		FLOAT RTK		3D		1.4		2229		4.417		3.129		0.709		10.826				WME		Water Meter

		UP505		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		505		7/2/25 14:22		3727'38.6315"N		796'16.8826"W		172.032		80649.621		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		-4		8		10.816		3.84		-50.259		Yes		7/2/25 14:22		RTK		31		1		0.58		0.82		10401		-1339		Yes		RTK		3D		1.2		2229		0.759		0.591		0.551		1.923				WME		Water Meter

		UP506		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		506		7/2/25 14:22		3727'38.1174"N		796'17.1657"W		56.926		80706.547		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		20.303		100		1		12		16.979		-0.967		36.321		Yes		7/2/25 14:22		RTK		31		1		0.58		0.82		10378		-1339		Yes		RTK		3D		2		2229		0.512		0.512		0.394		1.448				WME		Water Meter

		UP507		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		507		7/2/25 14:23		3727'37.0860"N		796'17.8813"W		119.456		80826.003		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		28.574		100		1		10		10.852		-1.316		-72.982		Yes		7/2/25 14:23		RTK		31		1.11		0.62		0.92		10312		-1339		Yes		RTK		3D		1.4		2229		1.512		0.85		0.669		3.469				WME		Water Meter

		UP508		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		508		7/2/25 14:23		3727'37.0624"N		796'17.8983"W		2.759		80828.762		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		12.134		100		7		8		12.437		2.003		66.887		Yes		7/2/25 14:24		RTK		31		1.11		0.62		0.92		10309		-1339		Yes		RTK		3D		1.2		2229		1.27		0.512		0.512		2.739				WME		Water Meter

		UP509		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		509		7/2/25 14:24		3727'36.4945"N		796'18.2766"W		65.17		80893.932		0		UNKNOWN		9		32768		CLASSIC		OMNI PEAK		140		88.724		100		-10		9		10.666		5.99		-18.92		Yes		7/2/25 14:24		RTK		31		1.11		0.62		0.92		10272		-1339		Yes		RTK		3D		1		2229		1.05		0.591		0.551		2.409				WME		Water Meter

		UP510		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		510		7/2/25 14:24		3727'36.4689"N		796'18.2941"W		2.957		80896.889		0		UNKNOWN		1		32768		CLASSIC		OMNI PEAK		140		100		100		2		10		12.769		0.448		-16.573		Yes		7/2/25 14:24		RTK		31		1		0.58		0.82		10269		-1339		Yes		RTK		3D		3.2		2229		1.913		0.672		0.63		4.056				WME		Water Meter

		UP511		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		511		7/2/25 14:25		3727'35.5373"N		796'18.9396"W		107.864		81004.753		0		UNKNOWN		115		32768		CLASSIC		OMNI PEAK		140		78.321		100		-2		10		8.52		2.9		58.826		Yes		7/2/25 14:25		RTK		29		1.15		0.65		0.95		10183		-1339		Yes		RTK		3D		1		2229		3.034		2.362		0.945		7.69				WME		Water Meter

		UP512		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		512		7/2/25 14:26		3727'35.5341"N		796'18.9300"W		0.836		81005.589		0		UNKNOWN		1903		32768		CLASSIC		OMNI PEAK		140		92.317		100		1		11		0.531		2.338		-27.655		Yes		7/2/25 14:26		RTK		31		1.11		0.63		0.92		10181		-1339		Yes		RTK		3D		1.6		2229		1.27		0.759		0.591		2.959				WME		Water Meter

		UP513		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		513		7/2/25 14:27		3727'34.6578"N		796'19.4485"W		98.213		81103.802		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		140		100		100		1		12		13.543		-0.596		11.868		Yes		7/2/25 14:27		RTK		31		1.12		0.63		0.92		10111		-1339		Yes		RTK		3D		1.2		2229		3.034		1.388		0.906		6.673				WME		Water Meter

		UP514		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		514		7/2/25 14:27		3727'34.6261"N		796'19.5190"W		6.528		81110.33		0		UNKNOWN		27		32768		CLASSIC		OMNI PEAK		140		93.53		100		0		9		11.594		0.669		35.935		Yes		7/2/25 14:27		RTK		31		1.12		0.63		0.92		10102		-1339		Yes		RTK		3D		1		2229		0.759		0.551		0.433		1.875				WME		Water Meter

		UP515		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		515		7/2/25 14:27		3727'34.1515"N		796'19.7639"W		52.03		81162.359		0		UNKNOWN		226		32768		CLASSIC		OMNI PEAK		140		66.272		100		3		5		11.017		-0.727		79.5		Yes		7/2/25 14:27		RTK		30		1.16		0.65		0.95		10074		-1339		Yes		RTK		3D		0.6		2229		1.512		0.551		0.551		3.218				WME		Water Meter

		UP516		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		516		7/2/25 14:28		3727'33.2460"N		796'20.3356"W		102.754		81265.113		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		22.348		100		1		9		15.393		-0.851		89.144		Yes		7/2/25 14:28		RTK		28		1.16		0.65		0.96		9996		-1339		Yes		RTK		3D		2.4		2229		0.551		0.394		0.394		1.355				WME		Water Meter

		UP517		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		517		7/2/25 14:28		3727'32.1391"N		796'21.0864"W		127.536		81392.649		0		UNKNOWN		239		32768		CLASSIC		OMNI PEAK		140		23.437		100		34		7		12.938		0.712		-33.271		Yes		7/2/25 14:28		RTK		32		1.16		0.65		0.96		9925		-1339		Yes		RTK		3D		0.8		2229		0.551		0.433		0.394		1.402				WME		Water Meter

		UP518		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		518		7/2/25 14:41		3727'28.2242"N		795'45.7962"W		2869.565		84262.214		0		UNKNOWN		5		32768		CLASSIC		OMNI PEAK		140		100		100		-9		11		10.582		1.194		-63.076		Yes		7/2/25 14:41		RTK		31		1.25		0.73		1.02		10289		-1339		Yes		RTK		3D		1.2		2229		2.058		0.85		0.709		4.453				WME		Water Meter

		UP519		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		519		7/2/25 14:41		3727'28.2089"N		795'45.8373"W		3.657		84265.871		0		UNKNOWN		86		32768		CLASSIC		OMNI PEAK		140		32.239		100		17		4		15.467		-0.713		73.486		Yes		7/2/25 14:41		RTK		31		1.25		0.73		1.02		10286		-1339		Yes		RTK		3D		1.8		2229		1.64		0.551		0.512		3.461				WME		Water Meter

		UP520		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		520		7/2/25 14:41		3727'28.1516"N		795'46.6965"W		69.435		84335.306		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		54.175		100		-9		7		21.007		-3.793		32.336		Yes		7/2/25 14:41		RTK		31		1.25		0.74		1.02		10313		-1339		Yes		RTK		3D		1		2229		1.64		0.85		0.669		3.695				WME		Water Meter

		UP521		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		521		7/2/25 14:41		3727'28.1826"N		795'46.7367"W		4.517		84339.823		0		UNKNOWN		49		32768		CLASSIC		OMNI PEAK		140		100		100		40		6		21.003		-0.644		-89.303		Yes		7/2/25 14:41		RTK		31		1.25		0.74		1.02		10316		-1339		Yes		RTK		3D		1.6		2229		1.157		0.85		0.669		2.873				WME		Water Meter

		UP522		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		522		7/2/25 14:43		3727'29.4567"N		795'47.1255"W		132.995		84472.818		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		19.682		100		-1		8		15.186		-4.742		27.065		Yes		7/2/25 14:43		RTK		31		1.3		0.7		1.09		10252		-1339		Yes		RTK		3D		0.6		2229		1.64		0.948		0.63		3.789				WME		Water Meter

		UP523		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		523		7/2/25 14:43		3727'30.0683"N		795'47.6189"W		73.679		84546.497		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		21.47		100		-2		12		13.929		-2.882		-15.076		Yes		7/2/25 14:44		RTK		31		1.39		0.75		1.17		10231		-1339		Yes		RTK		3D		1.2		2229		0.472		0.343		0.394		1.167				WME		Water Meter

		UP524		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		524		7/2/25 14:44		3727'30.9890"N		795'48.1292"W		102.045		84648.543		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		11.408		100		5		11		13.827		-1.724		-35.879		Yes		7/2/25 14:44		RTK		31		1.15		0.64		0.96		10191		-1339		Yes		RTK		3D		1		2229		1.05		0.591		0.512		2.409				WME		Water Meter

		UP525		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		525		7/2/25 14:45		3727'32.9786"N		795'49.2285"W		220.404		84868.947		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		74.391		100		29		9		15.001		-3.59		68.92		Yes		7/2/25 14:46		RTK		31		1.26		0.7		1.04		10074		-1339		Yes		RTK		3D		1.6		2229		0.948		0.512		0.512		2.154				WME		Water Meter

		UP526		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		526		7/2/25 14:46		3727'34.1215"N		795'49.7876"W		124.384		84993.331		0		UNKNOWN		15		32768		CLASSIC		OMNI PEAK		140		85.532		100		0		10		17.992		3.398		7.533		Yes		7/2/25 14:46		RTK		29		1.26		0.7		1.04		9971		-1339		Yes		RTK		3D		1		2229		0.948		0.512		0.472		2.154				WME		Water Meter

		UP527		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		527		7/2/25 14:47		3727'35.0284"N		795'50.3487"W		102.499		85095.83		0		UNKNOWN		22		32768		CLASSIC		OMNI PEAK		140		96.562		100		3		12		14.338		-6.664		-65.027		Yes		7/2/25 14:47		RTK		30		1.26		0.7		1.05		9880		-1339		Yes		RTK		3D		2.2		2229		1.512		0.672		0.551		3.309				WME		Water Meter

		UP528		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		528		7/2/25 14:47		3727'35.4810"N		795'50.5168"W		47.874		85143.704		0		UNKNOWN		7		32768		CLASSIC		OMNI PEAK		140		100		100		8		7		27.448		0.393		-38.188		Yes		7/2/25 14:47		RTK		29		1.43		0.75		1.22		9826		-1339		Yes		RTK		3D		1		2229		1.388		0.759		0.591		3.164				WME		Water Meter

		UP529		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		529		7/2/25 14:48		3727'36.9987"N		795'51.2865"W		165.979		85309.682		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		38.071		100		0		11		17.446		-7.238		84.387		Yes		7/2/25 14:48		RTK		28		1.17		0.64		0.97		9796		-1339		Yes		RTK		3D		1.6		2229		1.388		0.948		0.591		3.362				WME		Water Meter

		UP530		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		530		7/2/25 14:50		3727'39.1332"N		795'52.5398"W		238.916		85548.598		0		UNKNOWN		27		32768		CLASSIC		OMNI PEAK		140		100		100		-3		8		13.523		0.356		-74.214		Yes		7/2/25 14:50		RTK		27		1.27		0.67		1.08		9939		-1339		Yes		RTK		3D		2		2229		0.591		0.472		0.433		1.513				WME		Water Meter

		UP531		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		531		7/2/25 14:50		3727'39.9075"N		795'52.9021"W		83.793		85632.391		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		38.816		100		1		8		22.473		-3.374		-63.683		Yes		7/2/25 14:50		RTK		29		1.17		0.64		0.98		9995		-1339		Yes		RTK		3D		1.6		2229		0.512		0.35		0.394		1.241				WME		Water Meter

		UP532		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		532		7/2/25 14:52		3727'40.4304"N		795'52.3729"W		68.049		85700.44		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		17.116		100		-8		7		15.453		-2.265		40.778		Yes		7/2/25 14:52		RTK		30		1.18		0.64		0.99		9961		-1339		Yes		RTK		3D		1		2229		0.672		0.472		0.394		1.643				WME		Water Meter

		UP533		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		533		7/2/25 14:52		3727'40.0004"N		795'52.1452"W		47.323		85747.762		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		-2		11		14.154		-2.15		-86.089		Yes		7/2/25 14:52		RTK		30		1.26		0.7		1.05		9932		-1339		Yes		RTK		3D		0.8		2229		1.05		0.759		0.512		2.59				WME		Water Meter

		UP534		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		534		7/2/25 14:53		3727'38.8942"N		795'51.4912"W		123.971		85871.733		0		UNKNOWN		5		32768		CLASSIC		OMNI PEAK		140		100		100		-3		13		10.936		-6.153		-6.341		Yes		7/2/25 14:53		RTK		29		1.19		0.65		0.99		9821		-1339		Yes		RTK		3D		1		2229		1.388		0.759		0.669		3.164				WME		Water Meter

		UP535		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		535		7/2/25 14:56		3727'37.1619"N		795'50.5281"W		192.097		86063.831		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		49.572		100		1		13		6.069		-2.421		34.144		Yes		7/2/25 14:56		RTK		29		1.19		0.64		1		9758		-1339		Yes		RTK		3D		0.4		2229		0.591		0.433		0.394		1.465				WME		Water Meter

		UP536		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		536		7/2/25 14:57		3727'38.3503"N		795'51.1236"W		129.753		86193.583		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		-9		8		34.063		-0.603		14.295		Yes		7/2/25 14:57		RTK		29		1.19		0.64		1		9748		-1339		Yes		RTK		3D		1		2229		0.759		0.551		0.512		1.875				WME		Water Meter

		UP537		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		537		7/2/25 14:59		3727'35.0648"N		795'49.4097"W		360.759		86554.342		0		UNKNOWN		10		32768		CLASSIC		PEAK WITH ARROWS		140		96.402		99		0		11		18.216		3.532		-7.147		Yes		7/2/25 14:59		RTK		30		1.19		0.65		1		9909		-1339		Yes		RTK		3D		1		2229		0.591		0.512		0.394		1.563				WME		Water Meter

		UP538		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		538		7/2/25 14:59		3727'34.0654"N		795'48.8826"W		109.916		86664.258		0		UNKNOWN		15		32768		CLASSIC		PEAK WITH ARROWS		140		63.97		99		22		10		14.606		-5.521		52.316		Yes		7/2/25 14:59		RTK		31		1.19		0.65		1		9957		-1339		Yes		RTK		3D		1.4		2229		0.672		0.472		0.394		1.643				WME		Water Meter

		UP539		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		539		7/2/25 15:00		3727'33.3438"N		795'48.5198"W		78.819		86743.077		0		UNKNOWN		12		32768		CLASSIC		PEAK WITH ARROWS		140		82.459		99		1		13		16.889		-5.142		-17.626		Yes		7/2/25 15:00		RTK		29		1.19		0.65		1		10014		-1339		Yes		RTK		3D		1.2		2229		1.27		0.759		0.551		2.959				WME		Water Meter

		UP540		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		540		7/2/25 15:00		3727'32.3043"N		795'47.9173"W		116.085		86859.162		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		100		99		6		10		19.231		-7.312		-20.467		Yes		7/2/25 15:01		RTK		31		1.2		0.65		1		10128		-1339		Yes		RTK		3D		2		2229		1.388		1.05		0.591		3.481				WME		Water Meter

		UP541		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		541		7/2/25 15:01		3727'31.4892"N		795'47.5019"W		89.199		86948.361		0		UNKNOWN		216		32768		CLASSIC		PEAK WITH ARROWS		140		35.007		99		-16		10		7.68		-4.924		-83.132		Yes		7/2/25 15:01		RTK		31		1.2		0.65		1.01		10181		-1339		Yes		RTK		3D		1.4		2229		1.388		1.05		0.591		3.481				WME		Water Meter

		UP542		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		542		7/2/25 15:01		3727'30.5700"N		795'46.9963"W		101.762		87050.122		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		100		99		0		12		7.19		-11.095		-14.588		Yes		7/2/25 15:01		RTK		31		1.11		0.61		0.93		10224		-1339		Yes		RTK		3D		1.2		2229		0.472		0.327		0.394		1.149				WME		Water Meter

		UP543		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		543		7/2/25 15:02		3727'29.8825"N		795'46.6373"W		75.503		87125.625		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		32.499		99		0		10		19.749		-3.501		78.182		Yes		7/2/25 15:02		RTK		30		1.12		0.61		0.93		10261		-1339		Yes		RTK		3D		1.4		2229		2.207		1.512		0.748		5.351				WME		Water Meter

		UP544		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		544		7/9/25 8:03		3727'44.9977"N		796'8.3268"W		2324.253		89449.878		0		UNKNOWN		70		32768		CLASSIC		PEAK WITH ARROWS		140		8.518		100		37		6		17.955		0.253		45.887		Yes		7/9/25 8:03		RTK		29		0.97		0.54		0.8		10407		-1339		Yes		RTK		3D		0.6		1935		0.362		0.343		0.394		0.997				WME		Water Meter

		UP545		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		545		7/9/25 8:03		3727'46.3032"N		796'7.9161"W		136.51		89586.388		0		UNKNOWN		144		32768		CLASSIC		PEAK WITH ARROWS		140		8.924		100		12		10		15.789		-2.905		50.486		Yes		7/9/25 8:03		RTK		32		0.94		0.52		0.78		10413		-1339		Yes		RTK		3D		1.4		1935		0.472		0.433		0.394		1.282				WME		Water Meter

		UP546		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		546		7/9/25 8:04		3727'47.5459"N		796'6.8617"W		152.001		89738.389		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		5.054		100		-21		7		15.928		-1.698		63.147		Yes		7/9/25 8:04		RTK		32		0.94		0.52		0.78		10451		-1339		Yes		RTK		3D		1.2		1935		0.433		0.366		0.394		1.134				WME		Water Meter

		UP547		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		547		7/9/25 8:05		3727'48.3007"N		796'6.1730"W		94.545		89832.933		0		UNKNOWN		17		32768		CLASSIC		PEAK WITH ARROWS		140		27.022		100		4		12		12.403		-0.345		-32.896		Yes		7/9/25 8:05		RTK		32		0.94		0.52		0.79		10433		-1339		Yes		RTK		3D		1.4		1935		0.672		0.433		0.394		1.599				WME		Water Meter

		UP548		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		548		7/9/25 8:05		3727'49.2414"N		796'5.4434"W		112.072		89945.006		0		UNKNOWN		15		32768		CLASSIC		PEAK WITH ARROWS		140		2.818		100		0		10		17.538		-1.297		81.675		Yes		7/9/25 8:06		RTK		32		0.94		0.52		0.79		10387		-1339		Yes		RTK		3D		1.4		1935		0.472		0.362		0.394		1.191				WME		Water Meter

		UP549		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		549		7/9/25 8:06		3727'49.9711"N		796'4.8686"W		87.301		90032.307		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.734		100		-21		4		14.522		0.118		1.808		Yes		7/9/25 8:06		RTK		32		0.95		0.52		0.79		10353		-1339		Yes		RTK		3D		1		1935		0.551		0.472		0.394		1.452				WME		Water Meter

		UP550		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		550		7/9/25 8:07		3727'50.9571"N		796'3.9998"W		122.075		90154.382		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.456		100		-21		6		14.012		-1.709		7.994		Yes		7/9/25 8:07		RTK		32		0.95		0.52		0.79		10302		-1339		Yes		RTK		3D		2		1935		0.394		0.386		0.394		1.102				WME		Water Meter

		UP551		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		551		7/9/25 8:08		3727'51.6183"N		796'3.2141"W		92.208		90246.59		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.951		100		37		10		12.007		0.54		7.519		Yes		7/9/25 8:08		RTK		32		1.02		0.55		0.86		10257		-1339		Yes		RTK		3D		1.4		1935		0.948		0.591		0.512		2.233				WME		Water Meter

		UP552		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		552		7/9/25 8:09		3727'53.1524"N		796'2.6080"W		163.106		90409.696		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.928		100		-11		9		15.229		-0.755		3.777		Yes		7/9/25 8:09		RTK		32		1.01		0.53		0.85		10100		-1339		Yes		RTK		3D		1.8		1935		0.472		0.433		0.394		1.282				WME		Water Meter

		UP553		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		553		7/9/25 8:10		3727'54.0492"N		796'3.8025"W		132.394		90542.09		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.313		100		-29		5		14.532		1.163		25.43		Yes		7/9/25 8:10		RTK		32		0.96		0.53		0.8		9959		-1339		Yes		RTK		3D		0.8		1935		0.85		0.512		0.433		1.985				WME		Water Meter

		UP554		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		554		7/9/25 8:11		3727'54.5925"N		796'4.8466"W		100.534		90642.624		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		9.189		100		27		11		17.272		1.012		-72.092		Yes		7/9/25 8:11		RTK		32		1		0.55		0.83		9849		-1339		Yes		RTK		3D		1		1935		0.374		0.343		0.394		1.014				WME		Water Meter

		UP555		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		555		7/9/25 8:11		3727'55.0854"N		796'5.8368"W		94.114		90736.738		0		UNKNOWN		119		32768		CLASSIC		PEAK WITH ARROWS		140		37.112		100		-2		12		16.349		2.2		-28.804		Yes		7/9/25 8:11		RTK		32		0.97		0.53		0.82		9790		-1339		Yes		RTK		3D		1.4		1935		1.27		0.85		0.551		3.057				WME		Water Meter

		UP556		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		556		7/9/25 8:12		3727'55.6703"N		796'7.4949"W		146.108		90882.845		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		2.479		100		-30		9		10.721		3.807		-88.461		Yes		7/9/25 8:12		RTK		32		0.98		0.53		0.83		9825		-1339		Yes		RTK		3D		1.4		1935		0.551		0.512		0.394		1.504				WME		Water Meter

		UP557		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		557		7/9/25 8:13		3727'56.1693"N		796'8.8377"W		119.395		91002.24		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.711		100		26		12		15.42		-1.36		75.983		Yes		7/9/25 8:13		RTK		32		1.06		0.57		0.9		9837		-1339		Yes		RTK		3D		1.4		1935		0.512		0.343		0.394		1.232				WME		Water Meter

		UP558		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		558		7/9/25 8:13		3727'56.4904"N		796'9.7499"W		80.347		91082.588		0		UNKNOWN		289		32768		CLASSIC		PEAK WITH ARROWS		140		7.115		100		-1		10		17.252		-2.155		-23.454		Yes		7/9/25 8:13		RTK		32		1.02		0.54		0.87		9812		-1339		Yes		RTK		3D		1.2		1935		0.512		0.386		0.394		1.282				WME		Water Meter

		UP559		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		559		7/9/25 8:15		3727'56.7299"N		796'10.4067"W		58.208		91140.795		0		UNKNOWN		15		32768		CLASSIC		PEAK WITH ARROWS		140		31.249		100		-6		7		18.683		2.994		-29.228		Yes		7/9/25 8:15		RTK		31		1.06		0.55		0.9		9788		-1339		Yes		RTK		3D		1.8		1935		0.85		0.551		0.551		2.027				WME		Water Meter

		UP560		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		560		7/9/25 8:16		3727'57.1972"N		796'11.5473"W		103.352		91244.147		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		4.409		100		1		11		15.856		0.233		21.549		Yes		7/9/25 8:16		RTK		31		1		0.52		0.85		9682		-1339		Yes		RTK		3D		2.2		1935		1.157		0.948		0.669		2.992				WME		Water Meter

		UP561		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		561		7/9/25 8:16		3727'56.2505"N		796'10.9606"W		107.027		91351.174		0		UNKNOWN		9		32768		CLASSIC		PEAK WITH ARROWS		140		15.954		100		2		10		14.188		-4.206		-23.007		Yes		7/9/25 8:16		RTK		31		1.04		0.53		0.89		9795		-1339		Yes		RTK		3D		1.4		1935		0.672		0.512		0.472		1.689				WME		Water Meter

		UP562		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		562		7/9/25 8:17		3727'56.0091"N		796'10.2156"W		64.797		91415.971		0		UNKNOWN		1		32768		CLASSIC		PEAK WITH ARROWS		140		13.807		100		-6		7		15.881		0.493		18.064		Yes		7/9/25 8:17		RTK		32		0.97		0.51		0.82		9822		-1339		Yes		RTK		3D		1.2		1935		0.85		0.591		0.591		2.071				WME		Water Meter

		UP563		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		563		7/9/25 8:17		3727'55.5758"N		796'8.9798"W		108.786		91524.757		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		2.394		100		15		7		17.203		-1.203		-37.601		Yes		7/9/25 8:17		RTK		32		1.03		0.54		0.88		9897		-1339		Yes		RTK		3D		1.2		1935		0.335		0.291		0.394		0.887				WME		Water Meter

		UP564		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		564		7/9/25 8:18		3727'55.3265"N		796'8.3742"W		54.929		91579.686		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		4.881		100		1		11		15.94		2.838		20.865		Yes		7/9/25 8:18		RTK		32		1.06		0.55		0.91		9896		-1339		Yes		RTK		3D		1.4		1935		0.551		0.433		0.394		1.402				WME		Water Meter

		UP565		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		565		7/9/25 8:18		3727'54.9493"N		796'7.0713"W		111.68		91691.366		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.322		100		2		10		21.46		0.279		58.163		Yes		7/9/25 8:18		RTK		31		1.12		0.58		0.96		9848		-1339		Yes		RTK		3D		1.6		1935		0.591		0.472		0.433		1.513				WME		Water Meter

		UP566		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		566		7/9/25 8:22		3727'53.8510"N		796'4.7674"W		216.405		91907.771		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		4.117		100		-19		8		20.031		5.05		73.497		Yes		7/9/25 8:22		RTK		32		1.07		0.55		0.91		9980		-1339		Yes		RTK		3D		0.8		1935		0.551		0.394		0.394		1.355				WME		Water Meter

		UP567		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		567		7/9/25 8:23		3727'52.6937"N		796'3.4371"W		158.937		92066.708		0		UNKNOWN		32		32768		CLASSIC		PEAK WITH ARROWS		140		5.66		100		4		12		13.815		1.805		49.851		Yes		7/9/25 8:23		FLOAT RTK		32		1.07		0.55		0.92		10164		-1339		Yes		FLOAT RTK		3D		1.2		1935		5.706		4.049		0.906		13.993				WME		Water Meter

		UP568		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		568		7/9/25 8:25		3727'50.6990"N		796'6.2871"W		305.978		92372.686		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.337		100		-1		11		13.673		0.625		52.845		Yes		7/9/25 8:25		RTK		32		1.04		0.53		0.89		10312		-1339		Yes		RTK		3D		1.4		1935		0.591		0.472		0.433		1.513				WME		Water Meter

		UP569		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		569		7/9/25 8:25		3727'51.1340"N		796'7.1187"W		80.194		92452.88		0		UNKNOWN		64		32768		CLASSIC		PEAK WITH ARROWS		140		5.313		100		0		12		11.719		-1.912		-72.856		Yes		7/9/25 8:25		RTK		32		1.07		0.55		0.92		10250		-1339		Yes		RTK		3D		1		1935		0.472		0.335		0.394		1.158				WME		Water Meter

		UP570		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		570		7/9/25 8:26		3727'51.5574"N		796'8.3883"W		110.895		92563.774		0		UNKNOWN		100		32768		CLASSIC		PEAK WITH ARROWS		140		7.962		100		-55		8		13.05		-0.303		14.235		Yes		7/9/25 8:26		RTK		32		1.03		0.53		0.89		10138		-1339		Yes		RTK		3D		1.2		1935		1.157		0.759		0.591		2.768				WME		Water Meter

		UP571		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		571		7/9/25 8:26		3727'51.8263"N		796'8.9919"W		55.738		92619.512		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.066		100		33		4		13.62		-2.389		-64.772		Yes		7/9/25 8:26		RTK		32		1.02		0.52		0.87		10079		-1339		Yes		RTK		3D		1.4		1935		3.79		2.362		1.063		8.932				WME		Water Meter

		UP572		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		572		7/9/25 8:27		3727'52.3832"N		796'10.9550"W		167.867		92787.38		0		UNKNOWN		139		32768		CLASSIC		PEAK WITH ARROWS		140		7.363		100		-1		10		15.991		3.254		-1.798		Yes		7/9/25 8:27		RTK		32		1.02		0.52		0.88		9964		-1339		Yes		RTK		3D		1.2		1935		0.759		0.512		0.591		1.83				WME		Water Meter

		UP573		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		573		7/9/25 8:28		3727'52.7148"N		796'11.9470"W		86.677		92874.057		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.648		100		-7		5		14.412		2.142		18.721		Yes		7/9/25 8:28		RTK		32		1.02		0.52		0.88		9926		-1339		Yes		RTK		3D		1.4		1935		0.472		0.354		0.394		1.181				WME		Water Meter

		UP574		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		574		7/9/25 8:28		3727'53.1011"N		796'12.9845"W		92.273		92966.329		0		UNKNOWN		199		32768		CLASSIC		PEAK WITH ARROWS		140		5.184		100		-19		8		14.754		2.261		0.283		Yes		7/9/25 8:28		RTK		32		0.98		0.5		0.84		9890		-1339		Yes		RTK		3D		1.2		1935		0.394		0.303		0.394		0.994				WME		Water Meter

		UP575		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		575		7/9/25 8:29		3727'53.5786"N		796'14.2543"W		113.149		93079.479		0		UNKNOWN		38		32768		CLASSIC		PEAK WITH ARROWS		140		5.847		100		-23		11		9.349		-0.882		-74.505		Yes		7/9/25 8:29		RTK		32		1.09		0.53		0.95		9811		-1339		Yes		RTK		3D		1.2		1935		0.512		0.366		0.394		1.259				WME		Water Meter

		UP576		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		576		7/9/25 8:30		3727'53.3620"N		796'14.7147"W		43.098		93122.577		0		UNKNOWN		1546		32768		CLASSIC		PEAK WITH ARROWS		140		5.051		100		-19		12		15.759		1.531		25.467		Yes		7/9/25 8:30		RTK		32		1.08		0.53		0.94		9792		-1339		Yes		RTK		3D		0.6		1935		0.672		0.472		0.394		1.643				WME		Water Meter

		UP577		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		577		7/9/25 8:30		3727'52.7860"N		796'14.6811"W		58.495		93181.072		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		20.623		100		2		9		17.285		0.674		-11.602		Yes		7/9/25 8:30		FLOAT RTK		32		1.01		0.5		0.87		9802		-1339		Yes		FLOAT RTK		3D		0.8		1935		4.785		3.129		0.709		11.435				WME		Water Meter

		UP578		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		578		7/9/25 8:31		3727'52.4451"N		796'13.3056"W		116.033		93297.104		0		UNKNOWN		201		32768		CLASSIC		PEAK WITH ARROWS		140		3.978		100		6		8		18.734		-2.018		-51.079		Yes		7/9/25 8:31		RTK		32		1.05		0.52		0.91		9913		-1339		Yes		RTK		3D		0.8		1935		0.551		0.512		0.472		1.504				WME		Water Meter

		UP579		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		579		7/9/25 8:32		3727'51.9933"N		796'11.7874"W		130.561		93427.665		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		8.686		100		-42		6		13.704		3.967		77.862		Yes		7/9/25 8:32		RTK		32		1.01		0.5		0.87		10007		-1339		Yes		RTK		3D		1.8		1935		0.591		0.433		0.433		1.465				WME		Water Meter

		UP580		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		580		7/9/25 8:33		3727'51.4421"N		796'10.0081"W		153.805		93581.471		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		4.27		100		0		8		15.515		1.114		-2.353		Yes		7/9/25 8:33		RTK		32		1.02		0.5		0.88		10096		-1339		Yes		RTK		3D		1.2		1935		0.354		0.315		0.394		0.948				WME		Water Meter

		UP581		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		581		7/9/25 8:33		3727'51.4093"N		796'9.8952"W		9.676		93591.147		0		UNKNOWN		16		32768		CLASSIC		PEAK WITH ARROWS		140		6.567		100		21		8		19.198		-0.972		-53.185		Yes		7/9/25 8:33		RTK		32		1.02		0.5		0.88		10098		-1339		Yes		RTK		3D		1.6		1935		0.394		0.303		0.394		0.994				WME		Water Meter

		UP582		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		582		7/9/25 8:35		3727'50.4416"N		796'7.3023"W		230.729		93821.875		0		UNKNOWN		7		32768		CLASSIC		PEAK WITH ARROWS		140		10.749		100		-2		11		16.838		0.133		10.411		Yes		7/9/25 8:35		RTK		32		0.99		0.49		0.86		10306		-1339		Yes		RTK		3D		1.8		1935		0.759		0.433		0.512		1.747				WME		Water Meter

		UP583		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		583		7/9/25 8:35		3727'50.2156"N		796'6.7949"W		46.849		93868.724		0		UNKNOWN		29		32768		CLASSIC		PEAK WITH ARROWS		140		6.414		100		-2		10		16.586		2.115		-49.136		Yes		7/9/25 8:35		RTK		32		1		0.49		0.88		10346		-1339		Yes		RTK		3D		0.8		1935		1.27		0.759		0.709		2.959				WME		Water Meter

		UP584		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		584		7/9/25 8:39		3727'46.9868"N		796'9.2717"W		383.509		94252.233		0		UNKNOWN		17		32768		CLASSIC		PEAK WITH ARROWS		140		5.236		100		1		11		15.429		1.07		-45.435		Yes		7/9/25 8:39		RTK		32		1.08		0.51		0.95		10360		-1339		Yes		RTK		3D		1.6		1935		0.759		0.394		0.512		1.709				WME		Water Meter

		UP585		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		585		7/9/25 8:40		3727'47.6287"N		796'10.4582"W		115.626		94367.859		0		UNKNOWN		383		32768		CLASSIC		PEAK WITH ARROWS		140		11.099		100		36		6		14.728		2.463		-62.432		Yes		7/9/25 8:40		FLOAT RTK		32		1.09		0.52		0.96		10245		-1339		Yes		FLOAT RTK		3D		1.6		1935		2.577		2.025		0.433		6.554				WME		Water Meter

		UP586		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		586		7/9/25 8:41		3727'47.9343"N		796'11.0321"W		55.646		94423.505		0		UNKNOWN		3		32768		CLASSIC		PEAK WITH ARROWS		140		11.364		100		-4		12		14.209		0.805		79.362		Yes		7/9/25 8:41		RTK		32		1.1		0.51		0.97		10172		-1339		Yes		RTK		3D		1.4		1935		0.472		0.358		0.394		1.186				WME		Water Meter

		UP587		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		587		7/9/25 8:41		3727'48.9327"N		796'12.8781"W		179.877		94603.381		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		4.498		100		0		12		14.381		-1.727		53.914		Yes		7/9/25 8:41		RTK		32		1.13		0.54		0.99		10024		-1339		Yes		RTK		3D		1.8		1935		0.512		0.319		0.394		1.206				WME		Water Meter

		UP588		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		588		7/9/25 8:42		3727'49.5459"N		796'13.9085"W		103.703		94707.084		0		UNKNOWN		49		32768		CLASSIC		PEAK WITH ARROWS		140		1.226		100		-17		7		11.566		-1.768		-79.081		Yes		7/9/25 8:42		RTK		32		1.08		0.51		0.95		9895		-1339		Yes		RTK		3D		2		1935		0.591		0.433		0.433		1.465				WME		Water Meter

		UP589		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		589		7/9/25 8:43		3727'50.4467"N		796'15.4465"W		153.921		94861.005		0		UNKNOWN		37		32768		CLASSIC		PEAK WITH ARROWS		140		5.967		100		0		11		12.289		-2.424		-2.867		Yes		7/9/25 8:43		RTK		32		1.13		0.53		0.99		9740		-1339		Yes		RTK		3D		1.6		1935		0.472		0.291		0.394		1.11				WME		Water Meter

		UP590		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		590		7/9/25 8:44		3727'50.8847"N		796'16.8453"W		121.086		94982.092		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		4.645		100		-5		10		11.509		1.496		-5.684		Yes		7/9/25 8:44		FLOAT RTK		32		1.09		0.5		0.97		9719		-1339		Yes		FLOAT RTK		3D		1		1935		5.154		3.313		0.748		12.253				WME		Water Meter

		UP591		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		591		7/9/25 8:44		3727'50.3642"N		796'16.9316"W		53.258		95035.35		0		UNKNOWN		18		32768		CLASSIC		PEAK WITH ARROWS		140		6.772		100		-2		10		17.813		2.922		52.06		Yes		7/9/25 8:44		RTK		32		1.17		0.52		1.04		9767		-1339		Yes		RTK		3D		0.6		1935		0.472		0.339		0.394		1.162				WME		Water Meter

		UP592		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		592		7/9/25 8:45		3727'49.5155"N		796'15.4135"W		149.523		95184.873		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		2.846		100		-1		10		14.994		-1.324		88.623		Yes		7/9/25 8:45		RTK		32		1.11		0.51		0.98		9820		-1339		Yes		RTK		3D		0.8		1935		0.672		0.472		0.512		1.643				WME		Water Meter

		UP593		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		593		7/9/25 8:47		3727'47.7371"N		796'14.9841"W		183.709		95368.581		0		UNKNOWN		3		32768		CLASSIC		PEAK WITH ARROWS		140		9.278		100		38		9		23.634		0.723		-76.648		Yes		7/9/25 8:47		FLOAT RTK		32		1.12		0.51		0.99		10143		-1339		Yes		FLOAT RTK		3D		1.2		1935		2.209		1.841		0.433		5.75				WME		Water Meter

		UP594		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		594		7/9/25 8:47		3727'47.0080"N		796'15.7434"W		95.966		95464.547		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.462		100		-25		8		12.757		0.897		-78.848		Yes		7/9/25 8:47		RTK		32		1.1		0.5		0.98		10224		-1339		Yes		RTK		3D		2.4		1935		0.948		0.551		0.591		2.192				WME		Water Meter

		UP595		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		595		7/9/25 8:48		3727'46.8176"N		796'15.6847"W		19.885		95484.432		0		UNKNOWN		2		32768		CLASSIC		PEAK WITH ARROWS		140		11.946		100		-1		12		13.695		-0.106		52.694		Yes		7/9/25 8:48		RTK		32		1.1		0.5		0.98		10224		-1339		Yes		RTK		3D		1.6		1935		0.948		0.591		0.591		2.233				WME		Water Meter

		UP596		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		596		7/9/25 8:48		3727'46.6224"N		796'15.1581"W		46.802		95531.234		0		UNKNOWN		16		32768		CLASSIC		PEAK WITH ARROWS		140		26.878		100		-2		8		15.769		-1.441		-13.804		Yes		7/9/25 8:48		FLOAT RTK		32		1.18		0.53		1.06		10245		-1339		Yes		FLOAT RTK		3D		0.6		1935		4.785		2.945		0.906		11.238				WME		Water Meter

		UP597		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		597		7/9/25 8:49		3727'47.8198"N		796'12.4579"W		249.074		95780.307		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.196		100		-2		8		15.222		2.322		17.964		Yes		7/9/25 8:49		RTK		32		1.18		0.52		1.05		10072		-1339		Yes		RTK		3D		1.4		1935		1.05		0.591		0.591		2.409				WME		Water Meter

		UP598		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		598		7/9/25 8:51		3727'47.2824"N		796'11.4984"W		94.562		95874.87		0		UNKNOWN		610		32768		CLASSIC		PEAK WITH ARROWS		140		2.501		100		8		11		24.913		-0.139		-8.861		Yes		7/9/25 8:51		FLOAT RTK		32		1.18		0.52		1.06		10205		-1339		Yes		FLOAT RTK		3D		1		1935		8.651		5.522		1.654		20.525				WME		Water Meter

		UP599		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		599		7/9/25 8:51		3727'46.7241"N		796'10.3041"W		111.61		95986.48		0		UNKNOWN		2		32768		CLASSIC		PEAK WITH ARROWS		140		13.97		100		-2		11		13.209		0.233		-33.082		Yes		7/9/25 8:51		RTK		32		1.18		0.52		1.06		10329		-1339		Yes		RTK		3D		2.4		1935		0.759		0.551		0.591		1.875				WME		Water Meter

		UP600		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		600		7/9/25 8:52		3727'45.4948"N		796'9.0816"W		158.889		96145.368		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.387		100		20		3		15.043		-0.152		31.29		Yes		7/9/25 8:52		RTK		31		1.18		0.53		1.06		10412		-1339		Yes		RTK		3D		0.6		1935		1.27		0.85		0.748		3.057				WME		Water Meter

		UP601		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		601		7/9/25 9:47		3727'54.6397"N		796'51.8558"W		0		96145.368		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.776		100		14		9		13.984		0.373		2.233		Yes		7/9/25 9:47		RTK		30		1.05		0.54		0.89		10555		-1339		Yes		RTK		3D		1.6		2082		0.85		0.512		0.591		1.985				WME		Water Meter

		UP602		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		602		7/9/25 9:47		3727'55.2814"N		796'51.8764"W		65.115		96210.484		0		UNKNOWN		33		32768		CLASSIC		PEAK WITH ARROWS		140		7.166		100		10		6		14.747		-1.493		17.206		Yes		7/9/25 9:47		RTK		31		1.09		0.55		0.94		10554		-1339		Yes		RTK		3D		1		2082		0.759		0.382		0.512		1.698				WME		Water Meter

		UP603		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		603		7/9/25 9:51		3727'56.7117"N		796'51.9513"W		145.234		96355.718		0		UNKNOWN		19		32768		CLASSIC		PEAK WITH ARROWS		140		67.863		100		-11		5		16.614		-2.882		-41.889		Yes		7/9/25 9:51		RTK		31		1.02		0.53		0.88		10518		-1339		Yes		RTK		3D		0.8		2082		0.472		0.35		0.394		1.176				WME		Water Meter

		UP604		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		604		7/9/25 9:52		3727'57.2706"N		796'51.9902"W		56.78		96412.498		0		UNKNOWN		31		32768		CLASSIC		PEAK WITH ARROWS		140		8.879		100		-2		7		18.925		-0.315		43.49		Yes		7/9/25 9:52		RTK		31		1.05		0.55		0.89		10486		-1339		Yes		RTK		3D		1.2		2082		0.394		0.283		0.394		0.97				WME		Water Meter

		UP605		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		605		7/9/25 9:53		3727'58.5625"N		796'52.0061"W		131.073		96543.571		0		UNKNOWN		18		32768		CLASSIC		PEAK WITH ARROWS		140		19.784		100		-24		12		10.541		-1.53		47.296		Yes		7/9/25 9:53		RTK		31		1.02		0.53		0.87		10399		-1339		Yes		RTK		3D		1		2082		0.85		0.433		0.551		1.909				WME		Water Meter

		UP606		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		606		7/9/25 9:56		3727'59.5528"N		796'51.5231"W		107.733		96651.304		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		14.478		100		55		7		12.318		-0.097		77.208		Yes		7/9/25 9:56		FLOAT RTK		32		1.05		0.55		0.9		10352		-1339		Yes		FLOAT RTK		3D		1		2082		6.994		3.681		1.181		15.807				WME		Water Meter

		UP607		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		607		7/9/25 10:00		3727'59.1868"N		796'52.8066"W		109.817		96761.121		0		UNKNOWN		166		32768		CLASSIC		PEAK WITH ARROWS		140		4.491		100		0		10		15.936		0.577		-42.063		Yes		7/9/25 10:00		RTK		32		1.13		0.59		0.96		10363		-1339		Yes		RTK		3D		1		2082		1.913		0.948		0.827		4.27				WME		Water Meter

		UP608		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		608		7/9/25 10:05		3727'55.4608"N		796'52.5555"W		378.545		97139.665		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.162		100		-4		7		20.622		-6.399		-23.867		Yes		7/9/25 10:05		RTK		31		1.15		0.6		0.99		10539		-1339		Yes		RTK		3D		1		2082		0.759		0.472		0.551		1.787				WME		Water Meter

		UP609		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		609		7/9/25 10:05		3727'55.4473"N		796'52.5618"W		1.459		97141.124		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		25.067		100		1		9		12.966		2.58		19.098		Yes		7/9/25 10:05		RTK		31		1.18		0.59		1.02		10539		-1339		Yes		RTK		3D		1.2		2082		0.672		0.433		0.512		1.599				WME		Water Meter

		UP610		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		610		7/9/25 10:05		3727'55.4274"N		796'52.5438"W		2.484		97143.608		0		UNKNOWN		78		32768		CLASSIC		PEAK WITH ARROWS		140		5.578		100		-5		10		12.984		-0.572		77.694		Yes		7/9/25 10:05		RTK		31		1.11		0.58		0.94		10540		-1339		Yes		RTK		3D		1.6		2082		0.672		0.433		0.551		1.599				WME		Water Meter

		UP611		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		611		7/9/25 10:06		3727'54.6435"N		796'52.6290"W		79.825		97223.433		0		UNKNOWN		7		32768		CLASSIC		PEAK WITH ARROWS		140		6.864		100		1		11		9.942		-2.471		-14.394		Yes		7/9/25 10:06		RTK		32		1.12		0.6		0.95		10534		-1339		Yes		RTK		3D		1		2082		0.85		0.512		0.551		1.985				WME		Water Meter

		UP612		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		612		7/9/25 10:06		3727'54.6456"N		796'52.6498"W		1.692		97225.125		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		26.909		100		-5		12		12.463		-0.491		-25.12		Yes		7/9/25 10:06		RTK		32		1.11		0.59		0.94		10531		-1339		Yes		RTK		3D		0.8		2082		0.85		0.472		0.551		1.946				WME		Water Meter

		UP613		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		613		7/9/25 10:06		3727'54.6286"N		796'52.6586"W		1.863		97226.989		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.09		100		-9		10		10.618		-2.409		36.607		Yes		7/9/25 10:06		RTK		32		1.11		0.59		0.94		10531		-1339		Yes		RTK		3D		0.8		2082		0.591		0.394		0.472		1.42				WME		Water Meter

		UP614		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		614		7/9/25 10:06		3727'54.6297"N		796'52.6822"W		1.905		97228.894		0		UNKNOWN		11		32768		CLASSIC		PEAK WITH ARROWS		140		4.649		100		0		10		12.885		-2.232		28.192		Yes		7/9/25 10:06		RTK		32		1.16		0.6		0.99		10529		-1339		Yes		RTK		3D		2.6		2082		0.672		0.433		0.512		1.599				WME		Water Meter

		UP615		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		615		7/9/25 10:12		3727'53.9241"N		796'51.7464"W		103.936		97332.83		0		UNKNOWN		10		32768		CLASSIC		PEAK WITH ARROWS		140		17.368		100		-1		11		12.292		0.638		-3.624		Yes		7/9/25 10:12		RTK		32		1.11		0.59		0.94		10523		-1339		Yes		RTK		3D		1.4		2082		1.157		0.551		0.591		2.564				WME		Water Meter

		UP616		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		616		7/9/25 10:13		3727'53.8939"N		796'52.5859"W		67.665		97400.495		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.666		100		30		7		9.905		1.113		-46.244		Yes		7/9/25 10:13		RTK		32		1.11		0.59		0.94		10512		-1339		Yes		RTK		3D		1		2082		0.551		0.472		0.433		1.452				WME		Water Meter

		UP617		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		617		7/9/25 10:13		3727'53.8733"N		796'52.5714"W		2.394		97402.889		0		UNKNOWN		8		32768		CLASSIC		PEAK WITH ARROWS		140		15.474		100		27		6		11.053		2.111		58.312		Yes		7/9/25 10:13		RTK		32		1.16		0.61		0.99		10511		-1339		Yes		RTK		3D		2.2		2082		0.759		0.472		0.551		1.787				WME		Water Meter

		UP618		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		618		7/9/25 10:13		3727'53.8779"N		796'52.4860"W		6.893		97409.782		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		22.93		100		-6		12		14.886		0.046		-23.332		Yes		7/9/25 10:13		RTK		32		1.11		0.59		0.94		10513		-1339		Yes		RTK		3D		1.4		2082		1.512		0.759		0.787		3.383				WME		Water Meter

		UP619		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		619		7/9/25 10:27		3727'51.4203"N		796'40.0889"W		1028.928		98438.709		0		UNKNOWN		38		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		13		6		13.616		-2.349		45.301		Yes		7/9/25 10:27		RTK		32		1.06		0.55		0.9		10257		-1339		Yes		RTK		3D		0.8		2082		1.157		0.591		0.394		2.599				WME		Water Meter

		UP620		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		620		7/9/25 10:28		3727'51.0740"N		796'40.7763"W		65.558		98504.267		0		UNKNOWN		67		32768		CLASSIC		PEAK WITH ARROWS		140		17.381		100		-71		7		16.306		-2.695		3.837		Yes		7/9/25 10:28		RTK		32		1.05		0.57		0.88		10244		-1339		Yes		RTK		3D		1.6		2082		0.85		0.551		0.472		2.027				WME		Water Meter

		UP621		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		621		7/9/25 10:28		3727'50.4461"N		796'41.8436"W		106.977		98611.244		0		UNKNOWN		28		32768		CLASSIC		PEAK WITH ARROWS		140		40.421		100		31		9		14.68		-1.432		-27.134		Yes		7/9/25 10:28		RTK		32		1.03		0.54		0.87		10198		-1339		Yes		RTK		3D		1		2082		0.759		0.512		0.472		1.83				WME		Water Meter

		UP622		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		622		7/9/25 10:29		3727'50.0967"N		796'42.4553"W		60.685		98671.93		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		21.332		100		-2		6		13.18		-1.818		-10.64		Yes		7/9/25 10:29		RTK		32		1.06		0.56		0.9		10172		-1339		Yes		RTK		3D		1.2		2082		0.672		0.394		0.472		1.558				WME		Water Meter

		UP623		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		623		7/9/25 10:29		3727'49.0478"N		796'42.9779"W		114.427		98786.357		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.672		100		0		10		16.663		-1.026		88.382		Yes		7/9/25 10:29		RTK		32		1.02		0.54		0.87		10102		-1339		Yes		RTK		3D		1.2		2082		0.85		0.472		0.512		1.946				WME		Water Meter

		UP624		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		624		7/9/25 10:30		3727'50.4753"N		796'42.8803"W		145.036		98931.393		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.732		100		-1		12		14.589		-3.313		41.832		Yes		7/9/25 10:30		RTK		32		1.02		0.54		0.86		10121		-1339		Yes		RTK		3D		1.6		2082		2.522		0.672		0.591		5.221				WME		Water Meter

		UP625		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		625		7/9/25 10:30		3727'50.4497"N		796'42.8637"W		2.926		98934.319		0		UNKNOWN		44		32768		CLASSIC		PEAK WITH ARROWS		140		39.139		100		0		6		15.747		-2.228		28.896		Yes		7/9/25 10:30		RTK		32		1.02		0.54		0.86		10187		-1339		Yes		RTK		3D		4		2082		0.591		0.362		0.394		1.386				WME		Water Meter

		UP626		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		626		7/9/25 10:31		3727'50.9361"N		796'42.1023"W		78.706		99013.025		0		UNKNOWN		24		32768		CLASSIC		PEAK WITH ARROWS		140		14.328		100		6		9		14.437		-3.153		5.901		Yes		7/9/25 10:31		RTK		32		1.06		0.56		0.9		10243		-1339		Yes		RTK		3D		1.2		2082		0.551		0.382		0.394		1.341				WME		Water Meter

		UP627		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		627		7/9/25 10:32		3727'51.7618"N		796'40.5875"W		147.975		99161		0		UNKNOWN		269		32768		CLASSIC		PEAK WITH ARROWS		140		10.67		100		-4		12		13.907		-0.803		34.326		Yes		7/9/25 10:32		RTK		32		1.05		0.56		0.89		10295		-1339		Yes		RTK		3D		1.2		2082		0.472		0.287		0.394		1.106				WME		Water Meter

		UP628		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		628		7/9/25 10:33		3727'52.0848"N		796'39.9399"W		61.582		99222.583		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.779		100		-69		10		15.589		0.454		-85.678		Yes		7/9/25 10:33		RTK		32		1.02		0.54		0.86		10291		-1339		Yes		RTK		3D		1.6		2082		0.85		0.472		0.433		1.946				WME		Water Meter

		UP629		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		629		7/9/25 10:47		3727'53.9080"N		796'37.8497"W		250.087		99472.67		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		19.558		100		22		8		18.547		-4.056		-83.149		Yes		7/9/25 10:47		RTK		32		0.98		0.52		0.83		10395		-1339		Yes		RTK		3D		1.2		2082		1.64		0.948		0.669		3.789				WME		Water Meter

		UP630		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		630		7/9/25 10:47		3727'54.7217"N		796'38.5847"W		101.571		99574.241		0		UNKNOWN		39		32768		CLASSIC		PEAK WITH ARROWS		140		7.549		100		15		9		14.668		-3.329		-37.6		Yes		7/9/25 10:48		RTK		31		0.97		0.52		0.82		10416		-1339		Yes		RTK		3D		0.8		2082		0.551		0.378		0.394		1.337				WME		Water Meter

		UP631		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		631		7/9/25 10:52		3727'55.7661"N		796'38.5911"W		105.961		99680.202		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.095		100		-19		8		12.496		1.639		64.633		Yes		7/9/25 10:52		RTK		32		0.93		0.48		0.8		10429		-1339		Yes		RTK		3D		1.4		2082		0.672		0.433		0.394		1.599				WME		Water Meter

		UP632		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		632		7/9/25 10:56		3727'53.9670"N		796'37.0443"W		220.971		99901.174		0		UNKNOWN		19		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		-4		1		12.771		0.799		36.681		Yes		7/9/25 10:56		RTK		32		0.91		0.47		0.78		10403		-1339		Yes		RTK		3D		1.4		2082		0.472		0.472		0.394		1.336				WME		Water Meter

		UP633		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		633		7/9/25 10:59		3727'52.3271"N		796'35.7094"W		198.073		100099.246		0		UNKNOWN		60		32768		CLASSIC		PEAK WITH ARROWS		140		7.105		100		-2		11		14.241		-1.397		-37.412		Yes		7/9/25 10:59		RTK		32		0.93		0.48		0.79		10387		-1339		Yes		RTK		3D		1.2		2082		0.672		0.551		0.433		1.738				WME		Water Meter

		UP634		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		634		7/9/25 11:00		3727'51.8368"N		796'35.1591"W		66.623		100165.869		0		UNKNOWN		29		32768		CLASSIC		PEAK WITH ARROWS		140		15.501		100		-3		9		12.614		2.23		61.624		Yes		7/9/25 11:00		RTK		32		0.93		0.49		0.8		10369		-1339		Yes		RTK		3D		1		2082		0.759		0.512		0.394		1.83				WME		Water Meter

		UP635		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		635		7/9/25 11:01		3727'50.5859"N		796'34.1883"W		149.042		100314.911		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		4.94		100		0		10		15.036		-0.587		-68.839		Yes		7/9/25 11:01		RTK		32		0.93		0.49		0.8		10316		-1339		Yes		RTK		3D		1		2082		0.672		0.472		0.394		1.643				WME		Water Meter

		UP636		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		636		7/9/25 11:02		3727'48.9548"N		796'32.7226"W		203.256		100518.167		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.422		100		-1		12		14.962		-0.06		73.188		Yes		7/9/25 11:02		RTK		32		0.93		0.49		0.79		10231		-1339		Yes		RTK		3D		1.2		2082		0.672		0.512		0.433		1.689				WME		Water Meter

		UP637		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		637		7/9/25 11:04		3727'48.5083"N		796'32.2626"W		58.516		100576.683		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.932		100		-17		9		11.421		-2.164		-87.514		Yes		7/9/25 11:04		RTK		32		0.93		0.49		0.79		10211		-1339		Yes		RTK		3D		0.8		2082		0.386		0.319		0.394		1.001				WME		Water Meter

		UP638		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		638		7/9/25 11:04		3727'48.5316"N		796'32.2790"W		2.712		100579.395		0		UNKNOWN		355		32768		CLASSIC		PEAK WITH ARROWS		140		3.291		100		-7		10		14.693		1.687		46.658		Yes		7/9/25 11:04		RTK		32		0.97		0.5		0.83		10211		-1339		Yes		RTK		3D		1.8		2082		0.374		0.303		0.394		0.963				WME		Water Meter

		UP639		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		639		7/9/25 11:05		3727'47.5380"N		796'31.4470"W		121.034		100700.428		0		UNKNOWN		55		32768		CLASSIC		PEAK WITH ARROWS		140		3.392		100		-21		12		11.643		-0.622		76.349		Yes		7/9/25 11:05		RTK		32		0.93		0.49		0.79		10176		-1339		Yes		RTK		3D		0.8		2082		0.591		0.512		0.394		1.563				WME		Water Meter

		UP640		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		640		7/9/25 11:07		3727'47.0024"N		796'30.7162"W		80.102		100780.53		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.687		100		-26		12		13.309		4.364		15.042		Yes		7/9/25 11:07		RTK		32		0.92		0.48		0.79		10152		-1339		Yes		RTK		3D		1		2082		0.472		0.358		0.394		1.186				WME		Water Meter

		UP641		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		641		7/9/25 11:09		3727'45.9315"N		796'29.8794"W		127.848		100908.378		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.765		100		-19		11		9.39		-0.493		48.626		Yes		7/9/25 11:09		RTK		32		0.98		0.51		0.83		10112		-1339		Yes		RTK		3D		1		2082		0.512		0.472		0.394		1.393				WME		Water Meter

		UP642		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		642		7/9/25 11:10		3727'45.1090"N		796'29.1165"W		103.619		101011.997		0		UNKNOWN		9		32768		CLASSIC		PEAK WITH ARROWS		140		1.585		100		3		7		12.251		-0.465		76.806		Yes		7/9/25 11:10		RTK		32		0.98		0.51		0.84		10116		-1339		Yes		RTK		3D		0.6		2082		0.85		0.591		0.512		2.071				WME		Water Meter

		UP643		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		643		7/9/25 11:12		3727'44.2193"N		796'28.3292"W		110.294		101122.291		0		UNKNOWN		40		32768		CLASSIC		PEAK WITH ARROWS		140		15.415		100		-72		9		14.966		0.71		71.301		Yes		7/9/25 11:12		RTK		32		0.96		0.5		0.81		10134		-1339		Yes		RTK		3D		1.2		2082		0.591		0.512		0.394		1.563				WME		Water Meter

		UP644		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		644		7/9/25 11:14		3727'43.0601"N		796'26.0567"W		217.532		101339.823		0		UNKNOWN		47		32768		CLASSIC		PEAK WITH ARROWS		140		27.696		100		1		7		24.323		-1.524		10.951		Yes		7/9/25 11:14		RTK		32		0.97		0.5		0.82		10182		-1339		Yes		RTK		3D		1		2082		0.386		0.28		0.394		0.953				WME		Water Meter

		UP645		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		645		7/9/25 11:15		3727'43.0716"N		796'25.2354"W		66.15		101405.973		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.34		100		0		12		12.694		-0.841		61.426		Yes		7/9/25 11:15		RTK		32		0.95		0.5		0.8		10209		-1339		Yes		RTK		3D		1.2		2082		0.591		0.39		0.394		1.415				WME		Water Meter

		UP646		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		646		7/9/25 11:16		3727'43.0041"N		796'23.2786"W		157.723		101563.696		0		UNKNOWN		20		32768		CLASSIC		PEAK WITH ARROWS		140		2.773		100		-19		9		12.166		-0.615		88.584		Yes		7/9/25 11:16		RTK		32		0.99		0.54		0.83		10244		-1339		Yes		RTK		3D		0.8		2082		0.591		0.433		0.394		1.465				WME		Water Meter

		UP647		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		647		7/9/25 11:18		3727'43.0659"N		796'21.2549"W		163.08		101726.776		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		7.539		100		-6		10		20.264		-1.642		82.373		Yes		7/9/25 11:18		RTK		32		0.9		0.47		0.76		10252		-1339		Yes		RTK		3D		0.6		2082		0.759		0.551		0.512		1.875				WME		Water Meter

		UP648		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		648		7/9/25 11:19		3727'43.0600"N		796'19.9233"W		107.233		101834.009		0		UNKNOWN		6		32768		CLASSIC		PEAK WITH ARROWS		140		40.808		100		-14		7		9.617		-4.255		7.646		Yes		7/9/25 11:19		RTK		32		0.9		0.47		0.76		10267		-1339		Yes		RTK		3D		1.6		2082		0.551		0.472		0.394		1.452				WME		Water Meter

		UP649		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		649		7/9/25 11:20		3727'43.0536"N		796'18.1244"W		144.859		101978.868		0		UNKNOWN		12		32768		CLASSIC		PEAK WITH ARROWS		140		42.969		100		3		5		14.812		3.368		-52.552		Yes		7/9/25 11:20		RTK		32		0.92		0.48		0.78		10313		-1339		Yes		RTK		3D		1		2082		1.512		0.672		0.591		3.309				WME		Water Meter

		UP650		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		650		7/9/25 11:20		3727'43.0641"N		796'17.1531"W		78.228		102057.096		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		6.388		100		9		5		12.5		-0.237		1.046		Yes		7/9/25 11:20		RTK		32		0.89		0.47		0.76		10329		-1339		Yes		RTK		3D		1.2		2082		0.512		0.433		0.394		1.341				WME		Water Meter

		UP651		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		651		7/9/25 11:21		3727'43.0573"N		796'15.3154"W		147.985		102205.081		0		UNKNOWN		11		32768		CLASSIC		PEAK WITH ARROWS		140		9.439		100		10		10		12.916		1.366		87.217		Yes		7/9/25 11:21		RTK		32		0.89		0.47		0.76		10360		-1339		Yes		RTK		3D		1		2082		0.472		0.358		0.394		1.186				WME		Water Meter

		UP652		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		652		7/9/25 11:21		3727'43.0413"N		796'15.2791"W		3.343		102208.424		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		16.925		100		-7		7		12.538		-0.834		70.657		Yes		7/9/25 11:21		RTK		32		0.89		0.47		0.76		10359		-1339		Yes		RTK		3D		1.6		2082		0.472		0.335		0.394		1.158				WME		Water Meter

		UP653		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		653		7/9/25 11:22		3727'43.0991"N		796'12.8343"W		196.966		102405.39		0		UNKNOWN		4546		32768		CLASSIC		PEAK WITH ARROWS		140		2.621		100		-9		7		15.947		-0.27		63.587		Yes		7/9/25 11:22		RTK		32		0.89		0.47		0.75		10401		-1339		Yes		RTK		3D		1.4		2082		0.394		0.311		0.394		1.003				WME		Water Meter

		UP654		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		654		7/9/25 11:22		3727'43.1198"N		796'12.6479"W		15.154		102420.544		0		UNKNOWN		10		32768		CLASSIC		PEAK WITH ARROWS		140		13.996		100		0		9		15.542		2.366		-89.508		Yes		7/9/25 11:22		RTK		32		0.92		0.5		0.78		10398		-1339		Yes		RTK		3D		1.6		2082		0.591		0.433		0.394		1.465				WME		Water Meter

		UP655		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		655		7/9/25 11:23		3727'43.1404"N		796'10.3785"W		182.757		102603.301		0		UNKNOWN		18		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		-6		9		12.483		1.157		3.682		Yes		7/9/25 11:23		RTK		32		0.95		0.51		0.8		10303		-1339		Yes		RTK		3D		1		2082		0.948		0.472		0.433		2.118				WME		Water Meter

		UP656		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		656		7/9/25 11:23		3727'43.1828"N		796'10.1464"W		19.183		102622.484		0		UNKNOWN		34		32768		CLASSIC		PEAK WITH ARROWS		140		11.571		100		8		5		13.12		0.583		62.921		Yes		7/9/25 11:23		RTK		32		0.97		0.54		0.81		10302		-1339		Yes		RTK		3D		1.2		2082		0.948		0.394		0.394		2.052				WME		Water Meter

		UP657		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		657		7/9/25 11:28		3727'42.5202"N		796'11.6139"W		135.954		102758.439		0		UNKNOWN		7		32768		CLASSIC		PEAK WITH ARROWS		140		28.855		100		0		12		9.867		1.395		47.838		Yes		7/9/25 11:28		RTK		32		0.9		0.48		0.77		10351		-1339		Yes		RTK		3D		1		2082		1.157		1.05		0.709		3.125				WME		Water Meter

		UP658		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		658		7/9/25 11:29		3727'42.4949"N		796'12.6654"W		84.718		102843.157		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		2.42		100		2		12		12.857		-0.424		-61.169		Yes		7/9/25 11:29		RTK		32		0.93		0.49		0.79		10402		-1339		Yes		RTK		3D		1		2082		0.591		0.472		0.472		1.513				WME		Water Meter

		UP659		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		659		7/9/25 11:29		3727'42.4992"N		796'14.3568"W		136.198		102979.354		0		UNKNOWN		341		32768		CLASSIC		PEAK WITH ARROWS		140		1.667		100		6		6		15.495		0.311		26.62		Yes		7/9/25 11:29		RTK		31		0.9		0.48		0.77		10396		-1339		Yes		RTK		3D		1.4		2082		0.433		0.39		0.394		1.165				WME		Water Meter

		UP660		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		660		7/9/25 11:30		3727'41.6690"N		796'16.3873"W		183.931		103163.286		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		6.713		100		3		12		12.118		0.666		8.828		Yes		7/9/25 11:30		RTK		32		0.98		0.51		0.84		10423		-1339		Yes		RTK		3D		1.2		2082		0.472		0.374		0.394		1.205				WME		Water Meter

		UP661		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		661		7/9/25 11:32		3727'42.4936"N		796'17.9280"W		149.63		103312.915		0		UNKNOWN		17		32768		CLASSIC		PEAK WITH ARROWS		140		5.436		100		1		11		26.11		-1.747		-58.281		Yes		7/9/25 11:32		RTK		32		0.98		0.51		0.84		10347		-1339		Yes		RTK		3D		0.8		2082		0.433		0.394		0.394		1.171				WME		Water Meter

		UP662		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		662		7/9/25 11:33		3727'42.4399"N		796'20.1708"W		180.689		103493.604		0		UNKNOWN		6		32768		CLASSIC		PEAK WITH ARROWS		140		18.355		100		4		9		10.933		0.522		-27.847		Yes		7/9/25 11:33		RTK		31		0.92		0.48		0.79		10292		-1339		Yes		RTK		3D		1.4		2082		0.591		0.512		0.472		1.563				WME		Water Meter

		UP663		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		663		7/9/25 11:33		3727'42.4208"N		796'20.2282"W		5.015		103498.619		0		UNKNOWN		21140		32768		CLASSIC		PEAK WITH ARROWS		140		7.926		100		0		11		15.79		-0.668		-41.248		Yes		7/9/25 11:33		RTK		32		0.92		0.48		0.79		10290		-1339		Yes		RTK		3D		1.2		2082		0.591		0.512		0.472		1.563				WME		Water Meter

		UP664		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		664		7/9/25 11:34		3727'42.3851"N		796'21.5529"W		106.734		103605.354		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.052		100		14		5		18.11		0.589		89.076		Yes		7/9/25 11:34		RTK		30		0.97		0.52		0.82		10302		-1339		Yes		RTK		3D		1		2082		0.433		0.358		0.394		1.124				WME		Water Meter

		UP665		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		665		7/9/25 11:34		3727'42.4166"N		796'22.1798"W		50.581		103655.935		0		UNKNOWN		55		32768		CLASSIC		PEAK WITH ARROWS		140		2.793		100		18		7		23.48		-0.769		-69.533		Yes		7/9/25 11:34		RTK		32		0.92		0.48		0.79		10284		-1339		Yes		RTK		3D		1.2		2082		0.85		0.472		0.433		1.946				WME		Water Meter

		UP666		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		666		7/9/25 11:37		3727'42.4095"N		796'22.8054"W		50.382		103706.316		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.039		100		19		6		13.007		-0.444		73.353		Yes		7/9/25 11:37		RTK		31		1.01		0.53		0.85		10290		-1339		Yes		RTK		3D		1		2082		0.472		0.394		0.394		1.23				WME		Water Meter

		UP667		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		667		7/9/25 11:39		3727'42.5008"N		796'27.6553"W		390.664		104096.98		0		UNKNOWN		27		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		-9		11		10.578		-3.814		-11.766		Yes		7/9/25 11:39		RTK		32		0.96		0.52		0.81		10104		-1339		Yes		RTK		3D		1		2082		0.591		0.433		0.433		1.465				WME		Water Meter

		UP668		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		668		7/9/25 11:40		3727'42.9005"N		796'28.0385"W		50.953		104147.933		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		86.071		100		-1		11		11.729		-0.269		9.938		Yes		7/9/25 11:40		RTK		31		0.96		0.51		0.82		10095		-1339		Yes		RTK		3D		1		2082		0.85		0.759		0.669		2.279				WME		Water Meter

		UP669		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		669		7/9/25 11:41		3727'43.7386"N		796'28.9268"W		111.11		104259.043		0		UNKNOWN		1845		32768		CLASSIC		PEAK WITH ARROWS		140		23.324		100		19		5		11.997		1.682		14.505		Yes		7/9/25 11:41		RTK		31		1.03		0.55		0.87		10103		-1339		Yes		RTK		3D		1.6		2082		0.591		0.472		0.433		1.513				WME		Water Meter

		UP670		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		670		7/9/25 11:42		3727'44.8378"N		796'29.8919"W		135.925		104394.968		0		UNKNOWN		214		32768		CLASSIC		PEAK WITH ARROWS		140		55.46		100		-1		13		5.425		-1.043		8.159		Yes		7/9/25 11:42		RTK		29		1.22		0.61		1.06		10104		-1339		Yes		RTK		3D		0.4		2082		0.948		0.512		0.512		2.154				WME		Water Meter

		UP671		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		671		7/9/25 11:43		3727'45.4374"N		796'30.4409"W		75.199		104470.167		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		0		12		11.312		-0.057		37.685		Yes		7/9/25 11:43		RTK		32		1.09		0.57		0.93		10109		-1339		Yes		RTK		3D		1		2082		0.948		0.512		0.512		2.154				WME		Water Meter

		UP672		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		672		7/9/25 11:44		3727'46.7534"N		796'31.6060"W		163.18		104633.347		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		14.766		100		3		7		10.758		1.786		-58.689		Yes		7/9/25 11:44		RTK		32		1.08		0.55		0.93		10141		-1339		Yes		RTK		3D		0.8		2082		0.948		0.672		0.63		2.323				WME		Water Meter

		UP673		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		673		7/9/25 11:44		3727'47.2320"N		796'31.9994"W		57.976		104691.323		0		UNKNOWN		12		32768		CLASSIC		PEAK WITH ARROWS		140		89.142		100		1		12		13.094		-1.612		9.98		Yes		7/9/25 11:44		RTK		32		1.21		0.58		1.07		10182		-1339		Yes		RTK		3D		1		2082		0.759		0.672		0.63		2.027				WME		Water Meter

		UP674		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		674		7/9/25 11:45		3727'47.4473"N		796'32.2451"W		29.463		104720.786		0		UNKNOWN		41		32768		CLASSIC		PEAK WITH ARROWS		140		17.073		100		-1		10		13.267		-1.074		15.348		Yes		7/9/25 11:45		RTK		32		1.12		0.56		0.97		10200		-1339		Yes		RTK		3D		0.6		2082		1.27		1.05		0.748		3.296				WME		Water Meter

		UP675		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		675		7/9/25 11:47		3727'47.2305"N		796'32.0020"W		29.438		104750.224		0		UNKNOWN		11		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		-7		11		12.427		-0.518		3.619		Yes		7/9/25 11:47		RTK		32		1.22		0.58		1.07		10182		-1339		Yes		RTK		3D		1.8		2082		1.64		1.388		0.827		4.298				WME		Water Meter

		UP676		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		676		7/9/25 11:48		3727'48.7934"N		796'33.4588"W		197.23		104947.454		0		UNKNOWN		14		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		-1		10		15.922		-2.097		46.135		Yes		7/9/25 11:48		RTK		31		1.12		0.56		0.97		10258		-1339		Yes		RTK		3D		0.8		2082		0.759		0.512		0.591		1.83				WME		Water Meter

		UP677		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		677		7/9/25 11:50		3727'50.5973"N		796'35.0398"W		222.939		105170.393		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		1		12		12.676		1.914		89.448		Yes		7/9/25 11:50		RTK		32		1.09		0.57		0.92		10336		-1339		Yes		RTK		3D		0.6		2082		1.774		0.551		0.591		3.716				WME		Water Meter

		UP678		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		678		7/9/25 11:50		3727'51.3577"N		796'35.6941"W		93.417		105263.81		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		8.683		100		0		13		9.994		2.09		-40.603		Yes		7/9/25 11:50		RTK		32		1.11		0.59		0.94		10355		-1339		Yes		RTK		3D		1.2		2082		1.05		0.85		0.709		2.702				WME		Water Meter

		UP679		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		679		7/9/25 11:51		3727'52.4695"N		796'36.6984"W		138.792		105402.602		0		UNKNOWN		11		32768		CLASSIC		PEAK WITH ARROWS		140		55.839		100		2		8		13.543		3.067		56.013		Yes		7/9/25 11:51		RTK		30		1.07		0.55		0.92		10380		-1339		Yes		RTK		3D		1		2082		0.85		0.672		0.63		2.168				WME		Water Meter

		UP680		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		680		7/9/25 12:46		3727'37.0817"N		795'43.9586"W		0		105402.602		0		UNKNOWN		1		32768		CLASSIC		PEAK WITH ARROWS		140		17.958		100		28		10		17.865		-2.105		-82.201		Yes		7/9/25 12:46		GPS SPS VALID		29		0.95		0.52		0.8		9801		-1339		Yes		AUTONOMOUS		3D		0		0		56.299		51.969		43.307		153.236				WME		Water Meter

		UP681		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		681		7/9/25 12:47		3727'37.0791"N		795'43.9547"W		0.405		105403.007		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		2.493		100		-13		9		15.336		-0.502		89.341		Yes		7/9/25 12:47		GPS SPS VALID		28		0.96		0.53		0.8		9786		-1339		Yes		AUTONOMOUS		3D		0		0		47.638		43.307		39.37		128.761				WME		Water Meter

		UP682		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		682		7/9/25 12:47		3727'37.0776"N		795'43.9572"W		0.252		105403.259		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.134		100		-9		7		11.702		1.729		83.901		Yes		7/9/25 12:47		GPS SPS VALID		29		0.95		0.52		0.8		9780		-1339		Yes		AUTONOMOUS		3D		0		0		43.307		40.276		35.433		118.281				WME		Water Meter

		UP683		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		683		7/9/25 12:47		3727'37.0532"N		795'43.9403"W		2.82		105406.079		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.236		100		-11		10		13.734		-0.102		-72.168		Yes		7/9/25 12:47		FLOAT RTK		29		1.15		0.6		0.99		9754		-1339		Yes		FLOAT RTK		3D		1.8		2226		31.289		23.927		4.331		78.779				WME		Water Meter

		UP684		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		684		7/9/25 12:47		3727'35.6335"N		795'43.2121"W		155.512		105561.591		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		4.212		100		-49		6		11.727		-0.854		83.765		Yes		7/9/25 12:47		RTK		28		1.09		0.57		0.93		9844		-1339		Yes		RTK		3D		1		2226		0.85		0.672		0.591		2.168				WME		Water Meter

		UP685		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		685		7/9/25 12:49		3727'35.1525"N		795'39.8291"W		276.765		105838.356		0		UNKNOWN		203		32768		CLASSIC		PEAK WITH ARROWS		140		4.342		100		-4		7		9.21		-2.121		-28.92		Yes		7/9/25 12:49		RTK		27		1.15		0.6		0.98		9703		-1339		Yes		RTK		3D		1.8		2226		0.672		0.512		0.512		1.689				WME		Water Meter

		UP686		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		686		7/9/25 12:50		3727'35.7748"N		795'38.6571"W		113.549		105951.905		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.648		100		-1		7		9.899		-5.623		67.841		Yes		7/9/25 12:50		RTK		28		1.08		0.57		0.91		9704		-1339		Yes		RTK		3D		3.2		2226		1.27		1.05		0.709		3.296				WME		Water Meter

		UP687		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		687		7/9/25 12:50		3727'35.9281"N		795'38.0802"W		48.991		106000.896		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.252		100		23		8		10.499		1.682		-55.394		Yes		7/9/25 12:50		RTK		28		1.08		0.57		0.91		9760		-1339		Yes		RTK		3D		1.6		2226		0.512		0.433		0.433		1.341				WME		Water Meter

		UP688		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		688		7/9/25 12:51		3727'34.9939"N		795'37.9772"W		95.145		106096.041		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		4.581		100		28		9		19.895		-0.623		-74.534		Yes		7/9/25 12:51		RTK		28		1.08		0.57		0.91		9754		-1339		Yes		RTK		3D		1.4		2226		0.433		0.366		0.394		1.134				WME		Water Meter

		UP689		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		689		7/9/25 12:52		3727'34.5303"N		795'39.7693"W		151.786		106247.827		0		UNKNOWN		3		32768		CLASSIC		PEAK WITH ARROWS		140		26.127		100		-12		8		14.845		-1.195		52.095		Yes		7/9/25 12:52		RTK		31		1.17		0.6		1		9791		-1339		Yes		RTK		3D		0.6		2226		0.759		0.591		0.591		1.923				WME		Water Meter

		UP690		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		690		7/9/25 12:53		3727'33.2878"N		795'41.9386"W		215.424		106463.252		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		5.657		100		6		7		16.77		-1.476		-56.591		Yes		7/9/25 12:53		RTK		28		1.07		0.58		0.9		9891		-1339		Yes		RTK		3D		1		2226		0.433		0.394		0.394		1.171				WME		Water Meter

		UP691		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		691		7/9/25 12:54		3727'31.9588"N		795'41.1346"W		149.574		106612.826		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		26.487		100		-7		9		11.918		-0.381		-61.94		Yes		7/9/25 12:54		RTK		28		1.06		0.58		0.89		10038		-1339		Yes		RTK		3D		1.4		2226		0.591		0.551		0.551		1.616				WME		Water Meter

		UP692		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		692		7/9/25 12:54		3727'31.2018"N		795'39.8370"W		129.681		106742.507		0		UNKNOWN		46		32768		CLASSIC		PEAK WITH ARROWS		140		13.718		100		77		8		14.429		-2.573		-56.693		Yes		7/9/25 12:54		RTK		31		1.06		0.58		0.89		10047		-1339		Yes		RTK		3D		1.2		2226		0.433		0.378		0.394		1.15				WME		Water Meter

		UP693		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		693		7/9/25 12:56		3727'31.6696"N		795'37.0914"W		226.141		106968.648		0		UNKNOWN		24		32768		CLASSIC		PEAK WITH ARROWS		140		16.784		100		-1		12		13.268		-0.043		81.568		Yes		7/9/25 12:56		RTK		30		1.06		0.59		0.88		9930		-1339		Yes		RTK		3D		1.4		2226		0.759		0.551		0.591		1.875				WME		Water Meter

		UP694		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		694		7/9/25 12:56		3727'31.9360"N		795'36.1371"W		81.464		107050.111		0		UNKNOWN		75		32768		CLASSIC		PEAK WITH ARROWS		140		6.76		100		8		9		14.539		0.519		-5.687		Yes		7/9/25 12:56		RTK		31		1.05		0.58		0.88		9993		-1339		Yes		RTK		3D		1.8		2226		0.591		0.512		0.472		1.563				WME		Water Meter

		UP695		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		695		7/9/25 12:57		3727'32.3080"N		795'34.9517"W		102.652		107152.763		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		5.54		100		-1		6		14.253		1.008		-22.653		Yes		7/9/25 12:57		RTK		30		1.05		0.58		0.88		10057		-1339		Yes		RTK		3D		1.2		2226		0.948		0.551		0.591		2.192				WME		Water Meter

		UP696		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		696		7/9/25 12:57		3727'32.7963"N		795'33.6266"W		117.646		107270.409		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		2.387		100		-21		9		12.506		0.103		-9.512		Yes		7/9/25 12:58		RTK		31		1.05		0.58		0.87		10102		-1339		Yes		RTK		3D		1.2		2226		0.759		0.551		0.512		1.875				WME		Water Meter

		UP697		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		697		7/9/25 12:58		3727'34.1851"N		795'32.4438"W		170.077		107440.486		0		UNKNOWN		19		32768		CLASSIC		PEAK WITH ARROWS		140		11.512		100		-1		9		14.01		-0.238		-75.212		Yes		7/9/25 12:58		RTK		32		1.04		0.58		0.87		10066		-1339		Yes		RTK		3D		1.2		2226		0.759		0.591		0.551		1.923				WME		Water Meter

		UP698		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		698		7/9/25 12:59		3727'35.9385"N		795'32.9885"W		183.204		107623.69		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		5.557		100		45		10		12.763		-4.972		5.265		Yes		7/9/25 12:59		RTK		32		1.04		0.58		0.86		10012		-1339		Yes		RTK		3D		1.6		2226		1.157		0.672		0.591		2.677				WME		Water Meter

		UP699		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		699		7/9/25 13:00		3727'36.5555"N		795'33.3547"W		69.199		107692.889		0		UNKNOWN		23		32768		CLASSIC		PEAK WITH ARROWS		140		6.127		100		-3		11		12.638		6.115		44.363		Yes		7/9/25 13:00		RTK		32		1.04		0.58		0.86		9991		-1339		Yes		RTK		3D		1.6		2226		1.05		0.672		0.591		2.493				WME		Water Meter

		UP700		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		700		7/9/25 13:00		3727'37.2890"N		795'33.7891"W		82.228		107775.117		0		UNKNOWN		94		32768		CLASSIC		PEAK WITH ARROWS		140		6.748		100		-3		10		11.415		-4.398		47.126		Yes		7/9/25 13:00		RTK		32		1.12		0.61		0.94		9977		-1339		Yes		RTK		3D		1.4		2226		1.774		0.85		0.63		3.935				WME		Water Meter

		UP701		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		701		7/9/25 13:01		3727'38.4165"N		795'34.3910"W		124.225		107899.342		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.443		100		-11		7		13.021		-0.572		-18.563		Yes		7/9/25 13:01		RTK		32		1.12		0.61		0.94		9924		-1339		Yes		RTK		3D		0.8		2226		1.157		0.85		0.669		2.873				WME		Water Meter

		UP702		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		702		7/9/25 13:01		3727'39.2039"N		795'34.8232"W		87.135		107986.477		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.121		100		18		10		10.823		-0.298		71.44		Yes		7/9/25 13:02		RTK		32		1.11		0.61		0.93		9867		-1339		Yes		RTK		3D		1.6		2226		0.472		0.394		0.394		1.23				WME		Water Meter

		UP703		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		703		7/9/25 13:02		3727'40.9257"N		795'35.5699"W		184.743		108171.22		0		UNKNOWN		316		32768		CLASSIC		PEAK WITH ARROWS		140		14.055		100		77		8		12.151		-4.885		-9.536		Yes		7/9/25 13:02		RTK		31		1.04		0.59		0.85		9678		-1339		Yes		RTK		3D		2.2		2226		0.551		0.472		0.433		1.452				WME		Water Meter

		UP704		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		704		7/9/25 13:03		3727'40.9861"N		795'35.1248"W		36.363		108207.584		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.008		100		0		10		11.972		-0.346		-74.968		Yes		7/9/25 13:03		RTK		31		1.1		0.62		0.91		9687		-1339		Yes		RTK		3D		1.6		2226		0.85		0.759		0.63		2.279				WME		Water Meter

		UP705		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		705		7/9/25 13:04		3727'40.2426"N		795'34.6426"W		84.838		108292.422		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		2.883		100		213		9		10.865		-1.272		89.2		Yes		7/9/25 13:04		RTK		32		1.11		0.61		0.92		9777		-1339		Yes		RTK		3D		1.6		2226		0.759		0.672		0.591		2.027				WME		Water Meter

		UP706		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		706		7/9/25 13:06		3727'39.3378"N		795'34.2776"W		96.384		108388.806		0		UNKNOWN		42		32768		CLASSIC		PEAK WITH ARROWS		140		15.946		100		2		7		14.069		-2.838		-36.84		Yes		7/9/25 13:06		RTK		32		1.03		0.6		0.84		9856		-1339		Yes		RTK		3D		1.4		2226		0.85		0.672		0.591		2.168				WME		Water Meter

		UP707		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		707		7/9/25 13:06		3727'38.7782"N		795'33.8265"W		67.398		108456.203		0		UNKNOWN		472		32768		CLASSIC		PEAK WITH ARROWS		140		6.794		100		2		12		11.991		-5.591		-39.954		Yes		7/9/25 13:06		RTK		32		1.03		0.6		0.84		9908		-1339		Yes		RTK		3D		1.6		2226		0.759		0.759		0.591		2.145				WME		Water Meter

		UP708		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		708		7/9/25 13:07		3727'38.0275"N		795'33.4415"W		82.231		108538.435		0		UNKNOWN		184		32768		CLASSIC		PEAK WITH ARROWS		140		9.074		100		44		5		15.161		1.333		-61.871		Yes		7/9/25 13:07		RTK		32		1.12		0.64		0.92		9953		-1339		Yes		RTK		3D		1.2		2226		1.512		1.05		0.827		3.681				WME		Water Meter

		UP709		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		709		7/9/25 13:07		3727'36.7840"N		795'32.7591"W		137.601		108676.036		0		UNKNOWN		240		32768		CLASSIC		PEAK WITH ARROWS		140		7.613		100		34		9		13.38		2.024		34.373		Yes		7/9/25 13:07		RTK		32		1.18		0.63		1		9970		-1339		Yes		RTK		3D		1		2226		0.759		0.591		0.591		1.923				WME		Water Meter

		UP710		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		710		7/9/25 13:08		3727'35.9937"N		795'32.3247"W		87.478		108763.514		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		6.208		100		-1		9		11.73		1.331		53.319		Yes		7/9/25 13:08		RTK		32		1.12		0.63		0.92		9996		-1339		Yes		RTK		3D		1.6		2226		0.551		0.472		0.472		1.452				WME		Water Meter

		UP711		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		711		7/9/25 13:08		3727'35.3200"N		795'31.8924"W		76.696		108840.21		0		UNKNOWN		85		32768		CLASSIC		PEAK WITH ARROWS		140		13.878		100		11		11		12.877		0.699		7.108		Yes		7/9/25 13:08		RTK		31		1.19		0.65		0.99		10014		-1339		Yes		RTK		3D		1.6		2226		1.05		0.591		0.591		2.409				WME		Water Meter

		UP712		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		712		7/9/25 13:09		3727'34.0644"N		795'31.7970"W		127.618		108967.828		0		UNKNOWN		41		32768		CLASSIC		PEAK WITH ARROWS		140		7.14		100		5		8		15.155		1.73		-73.826		Yes		7/9/25 13:09		RTK		32		1.1		0.61		0.92		10050		-1339		Yes		RTK		3D		1.2		2226		0.85		0.591		0.63		2.071				WME		Water Meter

		UP713		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		713		7/9/25 13:09		3727'33.5168"N		795'31.9313"W		56.591		109024.419		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.65		100		-6		10		15.369		-1.066		-75.179		Yes		7/9/25 13:09		RTK		32		1.06		0.63		0.86		10066		-1339		Yes		RTK		3D		1.6		2226		0.948		0.591		0.591		2.233				WME		Water Meter

		UP714		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		714		7/9/25 13:10		3727'32.4538"N		795'32.9683"W		136.398		109160.817		0		UNKNOWN		23		32768		CLASSIC		PEAK WITH ARROWS		140		17.439		100		50		10		14.241		-3.498		-32.521		Yes		7/9/25 13:10		RTK		31		1.15		0.65		0.94		10102		-1339		Yes		RTK		3D		1.8		2226		0.948		0.672		0.63		2.323				WME		Water Meter

		UP715		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		715		7/9/25 13:11		3727'31.6966"N		795'35.0646"W		185.475		109346.292		0		UNKNOWN		286		32768		CLASSIC		PEAK WITH ARROWS		140		11.976		100		117		8		13.135		-5.223		-4.764		Yes		7/9/25 13:11		RTK		31		1.1		0.61		0.91		10051		-1339		Yes		RTK		3D		1.2		2226		1.27		1.157		0.787		3.437				WME		Water Meter

		UP716		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		716		7/9/25 13:11		3727'31.1513"N		795'36.4848"W		127.045		109473.337		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.255		100		-13		12		14.519		-9.655		63.765		Yes		7/9/25 13:11		RTK		30		1.1		0.62		0.91		9993		-1339		Yes		RTK		3D		1.2		2226		0.591		0.512		0.472		1.563				WME		Water Meter

		UP717		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		717		7/9/25 13:12		3727'30.6222"N		795'38.4423"W		166.526		109639.863		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		8.894		100		-27		10		15.56		0.022		-71.478		Yes		7/9/25 13:12		RTK		30		1.09		0.61		0.9		9988		-1339		Yes		RTK		3D		1.4		2226		0.85		0.551		0.551		2.027				WME		Water Meter

		UP718		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		718		7/9/25 13:13		3727'30.5063"N		795'38.9647"W		43.681		109683.544		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		6.124		100		157		9		13.831		2.215		31.025		Yes		7/9/25 13:13		RTK		30		1.09		0.61		0.9		10030		-1339		Yes		RTK		3D		1.4		2226		1.388		0.85		0.669		3.256				WME		Water Meter

		UP719		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		719		7/9/25 13:13		3727'30.8510"N		795'40.7577"W		148.568		109832.113		0		UNKNOWN		42		32768		CLASSIC		PEAK WITH ARROWS		140		9.1		100		0		7		19.465		-0.754		-7.8		Yes		7/9/25 13:13		RTK		31		1.09		0.61		0.9		10107		-1339		Yes		RTK		3D		1.6		2226		0.512		0.433		0.472		1.341				WME		Water Meter

		UP720		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		720		7/9/25 13:14		3727'30.8472"N		795'40.9054"W		11.901		109844.014		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		2.286		100		47		7		15.196		2.015		2.991		Yes		7/9/25 13:14		RTK		31		1.08		0.61		0.89		10119		-1339		Yes		RTK		3D		1		2226		0.591		0.551		0.512		1.616				WME		Water Meter

		UP721		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		721		7/9/25 13:14		3727'31.8548"N		795'41.8579"W		127.796		109971.81		0		UNKNOWN		3		32768		CLASSIC		PEAK WITH ARROWS		140		22.436		100		-4		10		14.183		-1.895		22.59		Yes		7/9/25 13:14		RTK		30		1.08		0.61		0.89		10031		-1339		Yes		RTK		3D		1.2		2226		0.591		0.551		0.472		1.616				WME		Water Meter

		UP722		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		722		7/9/25 13:16		3727'32.2560"N		795'42.0770"W		44.357		110016.167		0		UNKNOWN		105		32768		CLASSIC		PEAK WITH ARROWS		140		3.999		100		-19		9		16.061		1.552		9.728		Yes		7/9/25 13:16		RTK		31		1.08		0.61		0.88		9986		-1339		Yes		RTK		3D		1.4		2226		2.207		1.05		0.945		4.889				WME		Water Meter

		UP723		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		723		7/9/25 13:17		3727'34.8253"N		795'43.5678"W		286.977		110303.143		0		UNKNOWN		97		32768		CLASSIC		PEAK WITH ARROWS		140		12.661		100		-21		6		13.223		-1.71		-10.84		Yes		7/9/25 13:17		RTK		32		1.18		0.66		0.98		9886		-1339		Yes		RTK		3D		1.6		2226		0.85		0.759		0.669		2.279				WME		Water Meter

		UP724		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		724		7/9/25 13:17		3727'34.8464"N		795'43.5821"W		2.435		110305.579		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		9.186		100		5		9		16.884		0.262		-55.945		Yes		7/9/25 13:17		RTK		32		1.07		0.61		0.88		9884		-1339		Yes		RTK		3D		1		2226		1.05		0.759		0.63		2.59				WME		Water Meter

		UP725		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		725		7/9/25 13:19		3727'36.6278"N		795'44.4780"W		194.586		110500.165		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.772		100		-20		6		17.661		-2.311		82.63		Yes		7/9/25 13:19		RTK		32		1.07		0.62		0.87		9844		-1339		Yes		RTK		3D		1.2		2226		0.948		0.759		0.63		2.427				WME		Water Meter

		UP726		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		726		7/9/25 13:19		3727'36.6675"N		795'44.5016"W		4.453		110504.618		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		12.438		100		-1		7		17.845		0.505		66.301		Yes		7/9/25 13:19		RTK		32		1.06		0.62		0.87		9843		-1339		Yes		RTK		3D		1		2226		1.388		1.05		0.709		3.481				WME		Water Meter

		UP727		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		727		7/9/25 13:23		3727'37.4617"N		795'46.8434"W		205.078		110709.696		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		4.421		100		-9		12		13.323		-1.442		24.027		Yes		7/9/25 13:23		RTK		32		1		0.59		0.81		9796		-1339		Yes		RTK		3D		1.2		2226		0.948		0.759		0.709		2.427				WME		Water Meter

		UP728		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		728		7/9/25 13:23		3727'37.8310"N		795'45.8406"W		89.023		110798.719		0		UNKNOWN		84		32768		CLASSIC		PEAK WITH ARROWS		140		14.904		100		27		11		13.546		1.153		24.333		Yes		7/9/25 13:23		RTK		31		1.05		0.62		0.85		9769		-1339		Yes		RTK		3D		1.2		2226		0.759		0.551		0.551		1.875				WME		Water Meter

		UP729		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		729		7/9/25 13:24		3727'38.2408"N		795'44.6611"W		103.686		110902.405		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		4.453		100		-7		13		9.854		-4.191		36.442		Yes		7/9/25 13:24		RTK		32		0.95		0.56		0.77		9715		-1339		Yes		RTK		3D		0.8		2226		1.157		1.05		0.63		3.125				WME		Water Meter

		UP730		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		730		7/9/25 13:25		3727'39.2708"N		795'43.5121"W		139.573		111041.979		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.455		100		-1		10		6.88		-2.711		39.684		Yes		7/9/25 13:25		RTK		32		0.95		0.56		0.77		9543		-1339		Yes		RTK		3D		1.2		2226		0.551		0.512		0.433		1.504				WME		Water Meter

		UP731		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		731		7/9/25 13:26		3727'41.4449"N		795'44.2366"W		228.145		111270.124		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		6.383		100		18		10		16.098		-0.832		-81.024		Yes		7/9/25 13:26		RTK		32		0.98		0.58		0.8		9496		-1339		Yes		RTK		3D		1.2		2226		0.591		0.512		0.433		1.563				WME		Water Meter

		UP732		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		732		7/9/25 13:26		3727'41.4449"N		795'44.2371"W		0.043		111270.167		0		UNKNOWN		72		32768		CLASSIC		PEAK WITH ARROWS		140		10.838		100		-4		6		16.237		-0.408		43.899		Yes		7/9/25 13:26		RTK		32		0.95		0.56		0.77		9496		-1339		Yes		RTK		3D		1.2		2226		0.85		0.672		0.551		2.168				WME		Water Meter

		UP733		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		733		7/9/25 13:27		3727'41.8108"N		795'45.6088"W		116.529		111386.696		0		UNKNOWN		131		32768		CLASSIC		PEAK WITH ARROWS		140		7.976		100		2		10		12.793		-3.654		14.364		Yes		7/9/25 13:27		RTK		32		0.95		0.56		0.76		9633		-1339		Yes		RTK		3D		1.2		2226		1.157		1.05		0.709		3.125				WME		Water Meter

		UP734		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		734		7/9/25 13:28		3727'41.7937"N		795'46.5944"W		79.388		111466.083		0		UNKNOWN		40		32768		CLASSIC		PEAK WITH ARROWS		140		13.321		100		-4		9		16.071		2.292		15.907		Yes		7/9/25 13:28		RTK		32		0.95		0.56		0.76		9741		-1339		Yes		RTK		3D		1.8		2226		1.388		1.27		0.748		3.764				WME		Water Meter

		UP735		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		735		7/9/25 13:28		3727'42.5413"N		795'46.5219"W		76.063		111542.146		0		UNKNOWN		20		32768		CLASSIC		PEAK WITH ARROWS		140		19.364		100		-4		11		15.095		1.48		-14.714		Yes		7/9/25 13:28		RTK		32		0.95		0.56		0.76		9734		-1339		Yes		RTK		3D		3		2226		0.551		0.433		0.394		1.402				WME		Water Meter

		UP736		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		736		7/9/25 13:29		3727'42.6622"N		795'46.3001"W		21.674		111563.82		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.607		100		27		9		13.147		-2.647		-28.055		Yes		7/9/25 13:29		RTK		31		0.94		0.56		0.76		9716		-1339		Yes		RTK		3D		0.8		2226		0.672		0.551		0.472		1.738				WME		Water Meter

		UP737		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		737		7/9/25 13:30		3727'42.1928"N		795'44.3679"W		162.72		111726.541		0		UNKNOWN		67		32768		CLASSIC		PEAK WITH ARROWS		140		12.051		100		17		9		13.032		0.907		-19.018		Yes		7/9/25 13:30		RTK		32		1.01		0.59		0.82		9531		-1339		Yes		RTK		3D		1.4		2226		0.672		0.472		0.472		1.643				WME		Water Meter

		UP738		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		738		7/9/25 13:31		3727'41.6136"N		795'43.4580"W		93.916		111820.456		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		14.731		100		-6		8		13.248		1.832		-10.987		Yes		7/9/25 13:31		RTK		32		1.01		0.59		0.82		9449		-1339		Yes		RTK		3D		1.2		2226		1.05		0.948		0.669		2.828				WME		Water Meter

		UP739		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		739		7/9/25 13:32		3727'39.6758"N		795'42.6108"W		208.095		112028.551		0		UNKNOWN		14		32768		CLASSIC		PEAK WITH ARROWS		140		5.764		100		-34		10		12.133		1.89		-68.197		Yes		7/9/25 13:32		RTK		32		1.05		0.61		0.86		9506		-1339		Yes		RTK		3D		1.6		2226		1.388		1.157		0.709		3.615				WME		Water Meter

		UP740		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		740		7/9/25 13:32		3727'39.0164"N		795'42.8535"W		69.692		112098.242		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.993		100		-26		7		14.53		-0.825		-26.484		Yes		7/9/25 13:32		RTK		32		1.07		0.61		0.88		9583		-1339		Yes		RTK		3D		1.4		2226		0.672		0.591		0.512		1.789				WME		Water Meter

		UP741		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		741		7/9/25 13:33		3727'38.2667"N		795'43.4843"W		91.466		112189.708		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		2.899		100		-43		8		16.35		-3.889		-81.418		Yes		7/9/25 13:33		RTK		32		1.07		0.61		0.88		9690		-1339		Yes		RTK		3D		0.8		2226		1.157		0.591		0.63		2.599				WME		Water Meter

		UP742		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		742		7/9/25 14:19		3727'52.3326"N		795'54.8276"W		1694.306		113884.014		0		UNKNOWN		48		32768		CLASSIC		PEAK WITH ARROWS		140		23.152		100		34		11		18.663		-6.283		-45.564		Yes		7/9/25 14:19		RTK		30		1.57		0.75		1.38		9749		-1339		Yes		RTK		3D		1.4		2226		0.672		0.472		0.433		1.643				WME		Water Meter

		UP743		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		743		7/9/25 14:20		3727'52.0118"N		795'56.0710"W		105.282		113989.295		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.762		100		-62		8		11.892		-0.066		24.112		Yes		7/9/25 14:20		RTK		30		1.57		0.75		1.38		9826		-1339		Yes		RTK		3D		1.6		2226		1.512		0.85		0.709		3.469				WME		Water Meter

		UP744		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		744		7/9/25 14:21		3727'52.2548"N		795'57.2911"W		101.295		114090.591		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		4.694		100		-3		9		24.975		-2.301		75.639		Yes		7/9/25 14:21		RTK		30		1.57		0.75		1.38		9910		-1339		Yes		RTK		3D		0.8		2226		0.759		0.551		0.472		1.875				WME		Water Meter

		UP745		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		745		7/9/25 14:21		3727'52.7224"N		795'57.0609"W		50.93		114141.521		0		UNKNOWN		56		32768		CLASSIC		PEAK WITH ARROWS		140		10.275		100		89		8		18.335		1.38		86.22		Yes		7/9/25 14:22		RTK		30		1.45		0.75		1.24		9911		-1339		Yes		RTK		3D		1.4		2226		0.591		0.512		0.433		1.563				WME		Water Meter

		UP746		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		746		7/9/25 14:23		3727'53.3176"N		795'54.2944"W		230.811		114372.332		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.019		100		12		5		15.891		3.538		9.071		Yes		7/9/25 14:23		RTK		30		1.45		0.75		1.24		9769		-1339		Yes		RTK		3D		0.8		2226		0.512		0.394		0.394		1.291				WME		Water Meter

		UP747		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		747		7/9/25 14:23		3727'54.2180"N		795'53.7955"W		99.794		114472.126		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.667		100		8		11		23.684		-4.167		-4.118		Yes		7/9/25 14:23		RTK		30		1.56		0.74		1.37		9787		-1339		Yes		RTK		3D		1.4		2226		0.512		0.433		0.394		1.341				WME		Water Meter

		UP748		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		748		7/9/25 14:24		3727'55.2890"N		795'52.5188"W		149.577		114621.702		0		UNKNOWN		40		32768		CLASSIC		PEAK WITH ARROWS		140		4.439		100		0		9		15.319		-1.367		-54.089		Yes		7/9/25 14:24		RTK		29		1.39		0.72		1.19		9723		-1339		Yes		RTK		3D		0.8		2226		1.157		0.759		0.551		2.768				WME		Water Meter

		UP749		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		749		7/9/25 14:29		3727'56.5375"N		795'51.1227"W		169.362		114791.064		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.298		100		-59		5		7.218		-0.301		-22.675		Yes		7/9/25 14:29		RTK		30		1.38		0.72		1.18		9734		-1339		Yes		RTK		3D		0.8		2226		0.591		0.551		0.433		1.616				WME		Water Meter

		UP750		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		750		7/9/25 14:29		3727'57.3900"N		795'50.6864"W		93.346		114884.41		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.23		100		61		11		11.655		0.204		-21.736		Yes		7/9/25 14:29		RTK		30		1.41		0.71		1.22		9764		-1339		Yes		RTK		3D		1		2226		0.759		0.672		0.512		2.027				WME		Water Meter

		UP751		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		751		7/9/25 14:30		3727'58.7908"N		795'49.6906"W		163.169		115047.579		0		UNKNOWN		22		32768		CLASSIC		PEAK WITH ARROWS		140		11.194		100		-23		9		16.271		3.036		-76.102		Yes		7/9/25 14:30		RTK		30		1.41		0.71		1.22		9766		-1339		Yes		RTK		3D		0.6		2226		0.433		0.394		0.394		1.171				WME		Water Meter

		UP752		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		752		7/9/25 14:31		3727'59.2266"N		795'48.9530"W		74.046		115121.624		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		4.548		100		47		6		11.771		4.761		18.48		Yes		7/9/25 14:31		RTK		30		1.41		0.71		1.22		9715		-1339		Yes		RTK		3D		1.4		2226		0.472		0.472		0.394		1.336				WME		Water Meter

		UP753		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		753		7/9/25 14:31		3727'59.3792"N		795'47.9294"W		83.864		115205.488		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		2.306		100		5		9		10.048		-0.1		69.06		Yes		7/9/25 14:31		RTK		30		1.43		0.75		1.22		9633		-1339		Yes		RTK		3D		1.4		2226		1.512		1.388		0.709		4.105				WME		Water Meter

		UP754		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		754		7/9/25 14:32		3727'59.3738"N		795'46.7367"W		96.037		115301.525		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.528		100		20		10		10.16		2.343		58.264		Yes		7/9/25 14:32		FLOAT RTK		30		1.34		0.71		1.14		9525		-1339		Yes		FLOAT RTK		3D		1.8		2226		4.417		3.129		0.591		10.826				WME		Water Meter

		UP755		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		755		7/9/25 14:33		3727'59.4376"N		795'45.2714"W		118.166		115419.691		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.019		100		-4		13		15.076		-0.685		4.817		Yes		7/9/25 14:33		RTK		30		1.26		0.65		1.08		9402		-1339		Yes		RTK		3D		2		2226		0.512		0.433		0.394		1.341				WME		Water Meter

		UP756		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		756		7/9/25 14:33		3727'59.6617"N		795'44.0105"W		104.046		115523.736		0		UNKNOWN		2241		32768		CLASSIC		PEAK WITH ARROWS		140		13.651		100		-11		6		13.22		2.661		-53.063		Yes		7/9/25 14:33		RTK		27		1.5		0.74		1.31		9348		-1339		Yes		RTK		3D		1.4		2226		0.948		0.85		0.591		2.546				WME		Water Meter

		UP757		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		757		7/9/25 14:38		3727'59.4662"N		795'43.6286"W		36.595		115560.332		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		5.208		100		8		12		11.838		-1.218		-86.861		Yes		7/9/25 14:38		RTK		30		1.33		0.68		1.14		9333		-1339		Yes		RTK		3D		1		2226		0.672		0.551		0.394		1.738				WME		Water Meter

		UP758		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		758		7/9/25 14:40		3727'58.6851"N		795'44.3084"W		96.312		115656.643		0		UNKNOWN		66		32768		CLASSIC		PEAK WITH ARROWS		140		11.175		100		6		6		15.105		0.353		-67.137		Yes		7/9/25 14:40		RTK		30		1.34		0.68		1.15		9343		-1339		Yes		RTK		3D		1.2		2226		0.759		0.759		0.472		2.145				WME		Water Meter

		UP759		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		759		7/9/25 14:41		3727'58.8676"N		795'45.4859"W		96.602		115753.245		0		UNKNOWN		19		32768		CLASSIC		PEAK WITH ARROWS		140		9.616		100		-2		10		9.422		-1.161		32.353		Yes		7/9/25 14:41		RTK		29		1.34		0.68		1.15		9416		-1339		Yes		RTK		3D		2		2226		0.85		0.759		0.512		2.279				WME		Water Meter

		UP760		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		760		7/9/25 14:41		3727'58.8315"N		795'46.7050"W		98.233		115851.478		0		UNKNOWN		149		32768		CLASSIC		PEAK WITH ARROWS		140		19.079		100		-42		3		13.405		0.083		5.886		Yes		7/9/25 14:41		RTK		29		1.34		0.68		1.15		9519		-1339		Yes		RTK		3D		2.2		2226		1.05		0.759		0.827		2.59				WME		Water Meter

		UP761		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		761		7/9/25 14:42		3727'58.7886"N		795'48.2163"W		121.775		115973.253		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		8.312		100		-1		12		12.962		-1.206		-40.591		Yes		7/9/25 14:42		RTK		28		1.3		0.67		1.12		9663		-1339		Yes		RTK		3D		2.2		2226		1.64		1.05		0.63		3.895				WME		Water Meter

		UP762		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		762		7/9/25 14:43		3727'57.9153"N		795'49.5629"W		140.024		116113.277		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.002		100		94		3		12.655		-1.663		-37.355		Yes		7/9/25 14:43		RTK		29		1.3		0.65		1.12		9733		-1339		Yes		RTK		3D		1.8		2226		0.672		0.512		0.433		1.689				WME		Water Meter

		UP763		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		763		7/9/25 14:43		3727'56.9158"N		795'50.0982"W		110.185		116223.461		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.812		100		54		12		11.434		3.191		-83.258		Yes		7/9/25 14:43		RTK		29		1.3		0.65		1.12		9719		-1339		Yes		RTK		3D		0.8		2226		2.688		2.207		0.906		6.956				WME		Water Meter

		UP764		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		764		7/9/25 14:44		3727'55.2729"N		795'51.3896"W		196.451		116419.912		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.171		100		-19		13		11.652		1.355		63.358		Yes		7/9/25 14:44		RTK		29		1.3		0.65		1.13		9673		-1339		Yes		RTK		3D		0.6		2226		1.05		0.672		0.551		2.493				WME		Water Meter

		UP765		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		765		7/9/25 14:45		3727'54.7365"N		795'52.1931"W		84.54		116504.452		0		UNKNOWN		126		32768		CLASSIC		PEAK WITH ARROWS		140		28.762		100		35		5		10.742		-0.414		-54.002		Yes		7/9/25 14:45		FLOAT RTK		29		1.4		0.69		1.22		9688		-1339		Yes		FLOAT RTK		3D		1.4		2226		4.049		3.129		0.591		10.235				WME		Water Meter

		UP766		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		766		7/9/25 14:46		3727'53.7116"N		795'53.3020"W		137.056		116641.508		-0.001		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		4.106		100		2		11		11.258		2.108		17.901		Yes		7/9/25 14:46		RTK		29		1.35		0.69		1.17		9739		-1339		Yes		RTK		3D		2.2		2226		0.759		0.591		0.472		1.923				WME		Water Meter

		UP767		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		767		7/9/25 14:47		3727'52.1086"N		795'53.4713"W		163.197		116804.705		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		8.101		100		0		11		13.303		1.425		68.877		Yes		7/9/25 14:47		RTK		29		1.42		0.7		1.23		9651		-1339		Yes		RTK		3D		0.8		2226		1.05		0.759		0.591		2.59				WME		Water Meter

		UP768		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		768		7/9/25 14:59		3727'51.0802"N		795'50.8689"W		234.09		117038.795		0		UNKNOWN		17		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		1		9		10.504		2.917		25.578		Yes		7/9/25 14:59		RTK		29		1.35		0.73		1.14		9514		-1339		Yes		RTK		3D		1.8		2226		0.85		0.591		0.551		2.071				WME		Water Meter

		UP769		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		769		7/9/25 15:00		3727'48.8535"N		795'51.5128"W		231.77		117270.564		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		17.786		100		44		8		12.342		-1.356		-65.436		Yes		7/9/25 15:00		RTK		29		1.38		0.74		1.16		9743		-1339		Yes		RTK		3D		1.6		2226		3.215		1.512		0.787		7.106				WME		Water Meter

		UP770		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		770		7/9/25 15:02		3727'51.7564"N		795'50.1580"W		314.063		117584.627		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		52.012		100		-35		13		14.645		1.456		75.645		Yes		7/9/25 15:02		RTK		28		1.35		0.71		1.15		9454		-1339		Yes		RTK		3D		1.8		2226		0.759		0.551		0.512		1.875				WME		Water Meter

		UP771		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		771		7/9/25 15:04		3727'53.4569"N		795'48.2373"W		231.693		117816.32		0		UNKNOWN		5		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		2		10		12.983		0.001		26.869		Yes		7/9/25 15:04		FLOAT RTK		28		1.37		0.74		1.15		9418		-1339		Yes		FLOAT RTK		3D		1		2226		4.233		2.761		0.512		10.108				WME		Water Meter

		UP772		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		772		7/9/25 15:04		3727'53.4754"N		795'48.2114"W		2.8		117819.12		0		UNKNOWN		26		32768		CLASSIC		PEAK WITH ARROWS		140		66.777		100		-13		5		12.041		-2.275		69.958		Yes		7/9/25 15:04		FLOAT RTK		29		1.42		0.81		1.17		9418		-1339		Yes		FLOAT RTK		3D		3		2226		3.681		2.577		0.551		8.987				WME		Water Meter

		UP773		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		773		7/9/25 15:05		3727'54.6647"N		795'46.8546"W		162.778		117981.898		0		UNKNOWN		106		32768		CLASSIC		PEAK WITH ARROWS		140		15.966		100		-16		7		10.342		0.888		71.717		Yes		7/9/25 15:05		FLOAT RTK		28		1.36		0.74		1.14		9366		-1339		Yes		FLOAT RTK		3D		2.2		2226		11.043		6.442		1.024		25.57				WME		Water Meter

		UP774		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		774		7/9/25 15:05		3727'54.6750"N		795'46.8413"W		1.493		117983.391		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		46.065		100		54		10		12.05		1.163		62.621		Yes		7/9/25 15:05		RTK		28		1.36		0.74		1.14		9376		-1339		Yes		RTK		3D		0.6		2226		2.058		1.157		0.748		4.722				WME		Water Meter

		UP775		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		775		7/9/25 15:05		3727'54.6583"N		795'46.8352"W		1.765		117985.156		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		3		9		13.508		-0.095		11.11		Yes		7/9/25 15:05		RTK		29		1.36		0.74		1.14		9378		-1339		Yes		RTK		3D		2.2		2226		1.64		1.05		0.866		3.895				WME		Water Meter

		UP776		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		776		7/9/25 15:05		3727'54.6582"N		795'46.8125"W		1.824		117986.98		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		8.732		100		43		10		17.502		-1.324		-22.715		Yes		7/9/25 15:05		FLOAT RTK		28		1.36		0.74		1.14		9375		-1339		Yes		FLOAT RTK		3D		2		2226		3.865		3.313		0.669		10.181				WME		Water Meter

		UP777		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		777		7/9/25 15:05		3727'54.0730"N		795'46.3065"W		71.999		118058.979		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.779		100		-24		9		19.084		0.12		-54.192		Yes		7/9/25 15:05		FLOAT RTK		29		1.34		0.72		1.13		9397		-1339		Yes		FLOAT RTK		3D		1.4		2226		7.73		5.706		1.181		19.216				WME		Water Meter

		UP778		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		778		7/9/25 15:05		3727'54.0860"N		795'46.3035"W		1.336		118060.315		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.646		100		8		12		18.271		-1.506		84.669		Yes		7/9/25 15:05		FLOAT RTK		29		1.34		0.72		1.13		9396		-1339		Yes		FLOAT RTK		3D		1.8		2226		13.988		12.884		2.205		38.035				WME		Water Meter

		UP779		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		779		7/9/25 15:06		3727'54.1047"N		795'46.3193"W		2.289		118062.604		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		7.679		100		102		7		14.848		0.68		-4.05		Yes		7/9/25 15:06		RTK		30		1.34		0.72		1.13		9390		-1339		Yes		RTK		3D		5.8		2226		1.512		1.157		0.787		3.808				WME		Water Meter

		UP780		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		780		7/9/25 15:08		3727'53.1251"N		795'47.7216"W		150.416		118213.02		0		UNKNOWN		46		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		-42		10		13.058		5.747		50.201		Yes		7/9/25 15:08		RTK		30		1.38		0.7		1.19		9456		-1339		Yes		RTK		3D		1.6		2226		1.27		0.948		0.709		3.17				WME		Water Meter

		UP781		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		781		7/9/25 15:09		3727'53.1380"N		795'47.7151"W		1.404		118214.424		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		5.357		100		-105		11		14.325		-7.379		34.515		Yes		7/9/25 15:09		RTK		31		1.38		0.7		1.19		9447		-1339		Yes		RTK		3D		0.8		2226		0.85		0.672		0.591		2.168				WME		Water Meter

		UP782		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		782		7/9/25 15:10		3727'51.9220"N		795'48.9723"W		159.586		118374.01		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.391		100		-37		13		16.663		2.345		-80.547		Yes		7/9/25 15:10		RTK		31		1.47		0.72		1.28		9518		-1339		Yes		RTK		3D		0.6		2226		1.774		1.388		0.906		4.506				WME		Water Meter

		UP783		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		783		7/9/25 15:10		3727'51.9323"N		795'48.9559"W		1.69		118375.7		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		6.143		100		-61		7		17.845		-2.242		-83.702		Yes		7/9/25 15:10		RTK		31		1.47		0.72		1.28		9520		-1339		Yes		RTK		3D		0.6		2226		1.388		1.157		0.827		3.615				WME		Water Meter

		UP784		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		784		7/9/25 15:10		3727'51.9493"N		795'48.9539"W		1.728		118377.428		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.104		100		127		8		16.404		5.13		38.482		Yes		7/9/25 15:10		RTK		31		1.47		0.72		1.28		9514		-1339		Yes		RTK		3D		5		2226		1.774		1.388		0.827		4.506				WME		Water Meter

		UP785		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		785		7/9/25 15:10		3727'51.9596"N		795'48.9313"W		2.103		118379.531		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.003		100		-22		13		13.87		3.634		25.554		Yes		7/9/25 15:10		RTK		31		1.47		0.73		1.28		9515		-1339		Yes		RTK		3D		3.8		2226		0.759		0.551		0.551		1.875				WME		Water Meter

		UP786		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		786		7/9/25 15:11		3727'50.7688"N		795'50.2597"W		161.36		118540.891		0		UNKNOWN		771		32768		CLASSIC		PEAK WITH ARROWS		140		10.157		100		-2		13		10.809		2.711		17.373		Yes		7/9/25 15:11		RTK		31		1.89		0.9		1.66		9546		-1339		Yes		RTK		3D		0.8		2226		2.207		1.27		0.945		5.094				WME		Water Meter

		UP787		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		787		7/9/25 15:11		3727'50.7472"N		795'50.2637"W		2.217		118543.108		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		2.641		100		-11		12		18.487		0.386		85.227		Yes		7/9/25 15:11		RTK		31		1.89		0.9		1.66		9548		-1339		Yes		RTK		3D		2		2226		0.551		0.472		0.472		1.452				WME		Water Meter

		UP788		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		788		7/9/25 15:11		3727'50.7468"N		795'50.2886"W		2.005		118545.113		-0.001		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		4.027		100		-3		13		12.043		0.096		31.306		Yes		7/9/25 15:11		RTK		31		1.89		0.9		1.66		9545		-1339		Yes		RTK		3D		1.4		2226		0.759		0.512		0.551		1.83				WME		Water Meter

		UP789		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		789		7/9/25 15:12		3727'50.7290"N		795'50.2945"W		1.874		118546.986		0		UNKNOWN		87		32768		CLASSIC		PEAK WITH ARROWS		140		29.165		100		-1		10		15.439		1.26		59.651		Yes		7/9/25 15:12		RTK		31		1.89		0.9		1.66		9545		-1339		Yes		RTK		3D		4.2		2226		2.058		1.64		0.866		5.263				WME		Water Meter

		UP790		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		790		7/10/25 8:11		00'0.0000"N		00'0.0000"E		0		118546.986		0		UNKNOWN		3		32768		CLASSIC		PEAK WITH ARROWS		140		16.518		100		-1		6		20.555		-2.099		-43.373		No		7/10/25 8:11		NONE		0		99.99		99.99		99.99		0		0		Yes		DATA NOT VALID		NOT AVAILABLE		0		0		8314.961		8314.961		3070.866		23518.262				WME		Water Meter

		UP791		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		791		7/10/25 8:11		00'0.0000"N		00'0.0000"E		0		118546.986		0		UNKNOWN		112		32768		CLASSIC		PEAK WITH ARROWS		140		4.53		100		-8		10		20.333		-1.572		3.32		No		7/10/25 8:11		NONE		0		99.99		99.99		99.99		0		0		Yes		DATA NOT VALID		NOT AVAILABLE		0		0		80248.034		69161.42		24606.299		211877.785				WME		Water Meter

		UP792		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		792		7/10/25 8:11		3727'28.1527"N		796'48.1945"W		0		118546.986		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		2.116		100		1		9		12.981		-2.874		-11.286		Yes		7/10/25 8:11		NONE		9		3.39		1.89		2.82		9701		-1339		Yes		DATA NOT VALID		3D		0		0		116.929		77.953		74.803		281.063				WME		Water Meter

		UP793		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		793		7/10/25 8:11		3727'28.1401"N		796'48.3379"W		11.62		118558.606		0		UNKNOWN		15		32768		CLASSIC		PEAK WITH ARROWS		140		2.584		100		1		5		23.436		14.968		12.035		Yes		7/10/25 8:11		NONE		9		5.53		3.33		4.41		9722		-1339		Yes		DATA NOT VALID		3D		1.6		2509		47.638		15.591		23.228		100.248				WME		Water Meter

		UP794		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		794		7/10/25 8:12		3727'28.1908"N		796'48.4508"W		10.445		118569.051		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		7.145		100		3		10		31.162		-0.091		-70.955		Yes		7/10/25 8:12		RTK		24		1.44		0.92		1.11		9929		-1339		Yes		RTK		3D		1.8		2509		1.913		0.759		0.591		4.117				WME		Water Meter

		UP795		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		795		7/10/25 8:18		3727'39.3114"N		796'34.1354"W		1613.004		120182.055		0		UNKNOWN		20		32768		CLASSIC		PEAK WITH ARROWS		140		7.468		100		0		12		22.037		-7.662		8.223		Yes		7/10/25 8:18		FLOAT RTK		27		1.05		0.63		0.84		9632		-1339		Yes		FLOAT RTK		3D		1.2		2509		9.755		7.73		1.339		24.893				WME		Water Meter

		UP796		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		796		7/10/25 8:20		3727'38.9023"N		796'34.1730"W		41.616		120223.671		0		UNKNOWN		25		32768		CLASSIC		PEAK WITH ARROWS		140		17.257		100		-17		3		14.688		-2.523		5.559		Yes		7/10/25 8:20		RTK		28		1.03		0.61		0.84		9643		-1339		Yes		RTK		3D		1.4		2509		1.388		0.672		0.591		3.085				WME		Water Meter

		UP797		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		797		7/10/25 8:20		3727'38.6761"N		796'34.3029"W		25.213		120248.884		0		UNKNOWN		8		32768		CLASSIC		PEAK WITH ARROWS		140		15.842		100		-3		7		13.495		-0.407		68.328		Yes		7/10/25 8:20		RTK		31		0.99		0.58		0.8		9637		-1339		Yes		RTK		3D		1.2		2509		3.034		2.522		1.102		7.891				WME		Water Meter

		UP798		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		798		7/10/25 8:21		3727'37.6234"N		796'34.9228"W		117.887		120366.771		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		2.798		100		-3		5		23.869		4.117		-16.458		Yes		7/10/25 8:21		RTK		32		0.94		0.57		0.75		9593		-1339		Yes		RTK		3D		1.6		2509		1.05		0.672		0.512		2.493				WME		Water Meter

		UP799		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		799		7/10/25 8:21		3727'36.9768"N		796'35.3169"W		72.873		120439.644		0		UNKNOWN		26		32768		CLASSIC		PEAK WITH ARROWS		140		10.153		100		0		10		15.833		0.924		10.458		Yes		7/10/25 8:21		RTK		32		0.97		0.57		0.78		9572		-1339		Yes		RTK		3D		1.2		2509		1.05		0.759		0.551		2.59				WME		Water Meter

		UP800		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		800		7/10/25 8:22		3727'36.2474"N		796'35.7467"W		81.697		120521.341		0		UNKNOWN		26		32768		CLASSIC		PEAK WITH ARROWS		140		19.563		100		-6		7		19.565		-3.862		0.228		Yes		7/10/25 8:22		RTK		32		0.91		0.53		0.74		9571		-1339		Yes		RTK		3D		1.2		2509		0.85		0.512		0.512		1.985				WME		Water Meter

		UP801		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		801		7/10/25 8:22		3727'35.1727"N		796'36.4226"W		121.852		120643.194		0		UNKNOWN		129		32768		CLASSIC		PEAK WITH ARROWS		140		11.376		100		6		12		16.903		7.581		3.06		Yes		7/10/25 8:23		RTK		32		0.95		0.55		0.78		9522		-1339		Yes		RTK		3D		1		2509		1.157		0.672		0.669		2.677				WME		Water Meter

		UP802		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		802		7/10/25 8:24		3727'33.3144"N		796'36.5318"W		188.739		120831.932		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		2.97		100		-4		5		12.505		0.964		-77.746		Yes		7/10/25 8:24		RTK		32		0.92		0.53		0.75		9517		-1339		Yes		RTK		3D		1		2509		1.388		0.512		0.591		2.96				WME		Water Meter

		UP803		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		803		7/10/25 8:26		3727'34.0101"N		796'39.1775"W		224.443		121056.375		0		UNKNOWN		72		32768		CLASSIC		PEAK WITH ARROWS		140		7.556		100		20		9		14.778		7.519		-6.502		Yes		7/10/25 8:26		RTK		32		1		0.57		0.82		9498		-1339		Yes		RTK		3D		1.4		2509		0.85		0.551		0.512		2.027				WME		Water Meter

		UP804		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		804		7/10/25 8:26		3727'33.7724"N		796'38.2154"W		81.144		121137.518		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.549		100		-2		9		16.175		-7.169		85.423		Yes		7/10/25 8:26		RTK		32		0.98		0.57		0.8		9458		-1339		Yes		RTK		3D		1.4		2509		1.64		0.672		0.63		3.545				WME		Water Meter

		UP805		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		805		7/10/25 8:28		3727'36.9216"N		796'36.1403"W		360.556		121498.075		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.018		100		2		12		11.896		-3.172		-49.336		Yes		7/10/25 8:28		RTK		32		0.96		0.55		0.79		9557		-1339		Yes		RTK		3D		1.6		2509		1.512		1.157		0.787		3.808				WME		Water Meter

		UP806		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		806		7/10/25 8:28		3727'36.9305"N		796'36.1336"W		1.046		121499.121		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.003		100		0		10		8.999		-3.197		-72.619		Yes		7/10/25 8:28		RTK		31		1.04		0.58		0.87		9556		-1339		Yes		RTK		3D		2.2		2509		2.362		1.913		0.945		6.08				WME		Water Meter

		UP807		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		807		7/10/25 8:29		3727'38.0562"N		796'35.4238"W		127.708		121626.829		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		11.816		100		0		12		17.356		-9.076		18.822		Yes		7/10/25 8:29		RTK		32		0.94		0.54		0.77		9603		-1339		Yes		RTK		3D		1		2509		1.05		0.85		0.591		2.702				WME		Water Meter

		UP808		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		808		7/10/25 8:29		3727'38.5351"N		796'35.2275"W		51.093		121677.923		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		2.096		100		-2		13		11.274		-2.245		-86.913		Yes		7/10/25 8:29		RTK		32		0.92		0.52		0.75		9621		-1339		Yes		RTK		3D		1.2		2509		1.512		1.157		0.748		3.808				WME		Water Meter

		UP809		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		809		7/10/25 8:39		3727'25.1211"N		796'21.4654"W		1755.048		123432.97		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.622		100		8		7		13.161		-7.306		-12.117		Yes		7/10/25 8:39		RTK		32		1.13		0.59		0.96		9517		-1339		Yes		RTK		3D		0.8		2509		0.551		0.472		0.472		1.452				WME		Water Meter

		UP810		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		810		7/10/25 8:39		3727'24.3973"N		796'20.6925"W		96.258		123529.229		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		2.013		100		-5		6		10.895		-2.763		-48.75		Yes		7/10/25 8:39		RTK		32		1.09		0.57		0.94		9525		-1339		Yes		RTK		3D		0.8		2509		0.394		0.362		0.394		1.07				WME		Water Meter

		UP811		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		811		7/10/25 8:51		3727'22.8242"N		796'19.5458"W		184.384		123713.613		0		UNKNOWN		7		32768		CLASSIC		PEAK WITH ARROWS		140		14.628		100		2		11		12.665		-5.623		23.977		Yes		7/10/25 8:51		RTK		32		1.17		0.6		1.01		9381		-1339		Yes		RTK		3D		0.8		2509		1.157		0.591		0.748		2.599				WME		Water Meter

		UP812		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		812		7/10/25 8:51		3727'22.8097"N		796'19.5383"W		1.586		123715.199		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		10.187		100		-4		7		24.218		-7.355		-15.111		Yes		7/10/25 8:51		RTK		32		1.13		0.57		0.98		9385		-1339		Yes		RTK		3D		1.4		2509		1.157		0.759		0.709		2.768				WME		Water Meter

		UP813		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		813		7/10/25 8:51		3727'23.3697"N		796'19.7482"W		59.269		123774.467		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		2.106		100		0		11		18.186		-1.896		88.138		Yes		7/10/25 8:51		RTK		32		1.14		0.57		0.98		9445		-1339		Yes		RTK		3D		1		2509		0.551		0.433		0.472		1.402				WME		Water Meter

		UP814		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		814		7/10/25 8:52		3727'23.3526"N		796'19.7309"W		2.223		123776.69		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.002		100		5		10		12.582		-4.572		72.253		Yes		7/10/25 8:52		RTK		32		1.14		0.57		0.98		9442		-1339		Yes		RTK		3D		2		2509		0.551		0.433		0.512		1.402				WME		Water Meter

		UP815		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		815		7/10/25 9:03		3727'26.5670"N		796'23.2436"W		431.702		124208.392		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.363		100		0		13		11.707		-9.918		0.323		Yes		7/10/25 9:03		RTK		32		1.28		0.61		1.13		9561		-1339		Yes		RTK		3D		1.4		2509		0.591		0.433		0.551		1.465				WME		Water Meter

		UP816		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		816		7/10/25 9:03		3727'27.2975"N		796'24.0393"W		97.974		124306.366		0		UNKNOWN		14		32768		CLASSIC		PEAK WITH ARROWS		140		22.6		100		-1		7		12.875		-0.471		52.651		Yes		7/10/25 9:03		RTK		32		1.28		0.61		1.13		9646		-1339		Yes		RTK		3D		1.8		2509		1.512		0.948		1.024		3.568				WME		Water Meter

		UP817		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		817		7/10/25 9:05		3727'28.3761"N		796'25.9498"W		188.799		124495.165		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		9.15		100		-4		5		18.945		-4.188		24.78		Yes		7/10/25 9:05		RTK		32		1.45		0.63		1.3		9660		-1339		Yes		RTK		3D		1		2509		1.05		0.551		0.709		2.372				WME		Water Meter

		UP818		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		818		7/10/25 9:06		3727'29.0690"N		796'27.5659"W		147.92		124643.085		0		UNKNOWN		63		32768		CLASSIC		PEAK WITH ARROWS		140		22.724		100		1		11		20.483		-2.559		-8.774		Yes		7/10/25 9:06		RTK		32		1.45		0.63		1.3		9625		-1339		Yes		RTK		3D		0.6		2509		0.551		0.433		0.63		1.402				WME		Water Meter

		UP819		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		819		7/10/25 9:07		3727'29.4791"N		796'28.5627"W		90.411		124733.496		0		UNKNOWN		136		32768		CLASSIC		PEAK WITH ARROWS		140		12.136		100		-6		6		16.871		-5.15		-14.655		Yes		7/10/25 9:07		RTK		32		1.13		0.55		0.98		9581		-1339		Yes		RTK		3D		0.6		2509		0.512		0.433		0.472		1.341				WME		Water Meter

		UP820		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		820		7/10/25 9:07		3727'29.4784"N		796'28.5923"W		2.391		124735.886		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		7.278		100		-1		7		15.185		-3.882		-58.839		Yes		7/10/25 9:07		RTK		32		1.13		0.55		0.98		9576		-1339		Yes		RTK		3D		0.8		2509		0.551		0.472		0.512		1.452				WME		Water Meter

		UP821		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		821		7/10/25 9:08		3727'30.2134"N		796'30.4403"W		166.452		124902.338		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.993		100		-18		4		19.72		-1.02		16.866		Yes		7/10/25 9:08		RTK		32		1.17		0.57		1.02		9585		-1339		Yes		RTK		3D		0.6		2509		0.551		0.472		0.551		1.452				WME		Water Meter

		UP822		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		822		7/10/25 9:09		3727'30.8085"N		796'31.9291"W		134.237		125036.576		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.162		100		-2		8		13.657		-3.573		5.746		Yes		7/10/25 9:09		RTK		32		1.11		0.57		0.95		9552		-1339		Yes		RTK		3D		1.6		2509		0.472		0.358		0.394		1.186				WME		Water Meter

		UP823		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		823		7/10/25 9:09		3727'31.0668"N		796'32.5349"W		55.379		125091.955		0		UNKNOWN		174		32768		CLASSIC		PEAK WITH ARROWS		140		5.982		100		-18		9		17.456		-4.312		8.344		Yes		7/10/25 9:09		RTK		32		1.13		0.55		0.99		9539		-1339		Yes		RTK		3D		0.8		2509		0.672		0.512		0.591		1.689				WME		Water Meter

		UP824		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		824		7/10/25 9:10		3727'31.4397"N		796'33.4411"W		82.204		125174.159		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		27.469		100		-2		9		15.637		-2.628		12.577		Yes		7/10/25 9:10		RTK		32		1.29		0.59		1.15		9508		-1339		Yes		RTK		3D		1.4		2509		0.85		0.551		0.669		2.027				WME		Water Meter

		UP825		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		825		7/10/25 9:13		3727'32.7876"N		796'37.0175"W		318.824		125492.983		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.226		100		-6		12		17.681		-5.302		87.153		Yes		7/10/25 9:13		RTK		32		1.13		0.54		0.99		9467		-1339		Yes		RTK		3D		0.6		2509		0.512		0.433		0.472		1.341				WME		Water Meter

		UP826		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		826		7/10/25 9:15		3727'33.4461"N		796'39.4564"W		207.451		125700.434		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.785		100		-4		7		13.164		-1.611		34.13		Yes		7/10/25 9:15		RTK		32		1.17		0.55		1.03		9462		-1339		Yes		RTK		3D		0.6		2509		0.433		0.378		0.433		1.15				WME		Water Meter

		UP827		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		827		7/10/25 9:15		3727'33.5076"N		796'39.9367"W		39.179		125739.612		0		UNKNOWN		3		32768		CLASSIC		PEAK WITH ARROWS		140		10.075		100		1		11		22.862		-1.269		-47.717		Yes		7/10/25 9:15		RTK		32		1.13		0.54		0.99		9479		-1339		Yes		RTK		3D		1		2509		0.433		0.378		0.433		1.15				WME		Water Meter

		UP828		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		828		7/10/25 9:17		3727'33.7005"N		796'41.4393"W		122.578		125862.191		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		2.468		100		0		12		5.856		0.657		26.032		Yes		7/10/25 9:17		RTK		32		1.24		0.57		1.1		9481		-1339		Yes		RTK		3D		0.8		2509		0.759		0.472		0.551		1.787				WME		Water Meter

		UP829		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		829		7/10/25 9:18		3727'33.8651"N		796'43.4099"W		159.564		126021.755		0		UNKNOWN		133		32768		CLASSIC		PEAK WITH ARROWS		140		22.927		100		-3		9		18.352		0.171		24.866		Yes		7/10/25 9:18		RTK		32		1.13		0.54		1		9455		-1339		Yes		RTK		3D		1.4		2509		0.472		0.394		0.472		1.23				WME		Water Meter

		UP830		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		830		7/10/25 9:21		3727'33.4336"N		796'47.8824"W		362.819		126384.574		0		UNKNOWN		18		32768		CLASSIC		PEAK WITH ARROWS		140		13.839		100		-2		6		7.022		-1.102		-11.933		Yes		7/10/25 9:21		RTK		32		1.13		0.54		0.99		9391		-1339		Yes		RTK		3D		1		2509		0.85		0.472		0.709		1.946				WME		Water Meter

		UP831		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		831		7/10/25 9:22		3727'33.5795"N		796'49.5040"W		131.424		126515.998		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		10.403		100		0		11		13.646		2.98		-24.136		Yes		7/10/25 9:22		RTK		31		1.25		0.57		1.11		9491		-1339		Yes		RTK		3D		1		2509		0.512		0.472		0.551		1.393				WME		Water Meter

		UP832		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		832		7/10/25 9:22		3727'33.8892"N		796'51.6631"W		176.692		126692.689		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		6.137		100		-12		7		11.451		-4.473		-6.071		Yes		7/10/25 9:22		RTK		32		1.25		0.57		1.12		9546		-1339		Yes		RTK		3D		1.2		2509		0.394		0.343		0.394		1.044				WME		Water Meter

		UP833		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		833		7/10/25 9:23		3727'34.3725"N		796'52.7524"W		100.491		126793.18		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.832		100		2		8		13.817		-5.127		-45.528		Yes		7/10/25 9:23		RTK		32		1.25		0.57		1.12		9578		-1339		Yes		RTK		3D		0.8		2509		0.759		0.512		0.512		1.83				WME		Water Meter

		UP834		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		834		7/10/25 9:23		3727'34.4548"N		796'52.9782"W		20.01		126813.19		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.735		100		-2		10		23.383		-4.081		-54.292		Yes		7/10/25 9:23		RTK		31		1.32		0.59		1.18		9594		-1339		Yes		RTK		3D		1		2509		0.85		0.512		0.709		1.985				WME		Water Meter

		UP835		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		835		7/10/25 9:25		3727'35.6033"N		796'55.7427"W		251.27		127064.46		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.926		100		1		11		13.887		-0.439		-68.033		Yes		7/10/25 9:25		RTK		31		1.25		0.57		1.12		9708		-1339		Yes		RTK		3D		1		2509		0.672		0.472		0.709		1.643				WME		Water Meter

		UP836		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		836		7/10/25 9:31		3727'37.8898"N		797'1.4558"W		515.238		127579.697		0		UNKNOWN		40		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		8		5		18.63		0.598		-15.588		Yes		7/10/25 9:31		RTK		32		1.38		0.61		1.24		10043		-1339		Yes		RTK		3D		0.6		2509		0.672		0.591		0.709		1.789				WME		Water Meter

		UP837		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		837		7/10/25 9:44		3727'33.0589"N		796'35.9173"W		2114.186		129693.883		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		4.077		100		2		5		15.612		-3.145		25.958		Yes		7/10/25 9:44		RTK		32		1.07		0.51		0.94		9549		-1339		Yes		RTK		3D		1		2509		0.672		0.433		0.63		1.599				WME		Water Meter

		UP838		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		838		7/10/25 9:44		3727'32.7990"N		796'35.1757"W		65.277		129759.161		0		UNKNOWN		48		32768		CLASSIC		PEAK WITH ARROWS		140		12.57		100		19		10		9.587		-7.531		75.741		Yes		7/10/25 9:44		RTK		32		1.16		0.54		1.02		9517		-1339		Yes		RTK		3D		1		2509		0.591		0.433		0.669		1.465				WME		Water Meter

		UP839		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		839		7/10/25 9:45		3727'32.4122"N		796'34.1277"W		93.078		129852.239		0		UNKNOWN		17		32768		CLASSIC		PEAK WITH ARROWS		140		11.384		100		2		10		13.048		-1.922		36.575		Yes		7/10/25 9:45		RTK		32		1.06		0.51		0.94		9472		-1339		Yes		RTK		3D		0.8		2509		1.64		0.759		0.945		3.615				WME		Water Meter

		UP840		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		840		7/10/25 9:46		3727'34.1413"N		796'32.7791"W		206.31		130058.549		0		UNKNOWN		42		32768		CLASSIC		PEAK WITH ARROWS		140		32.312		100		-1		8		13.433		-7.202		22.106		Yes		7/10/25 9:46		RTK		32		1.09		0.52		0.95		9560		-1339		Yes		RTK		3D		1		2509		0.948		0.85		0.748		2.546				WME		Water Meter

		UP841		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		841		7/10/25 9:47		3727'34.7093"N		796'32.4385"W		63.821		130122.369		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		4.441		100		-3		10		9.236		-4.888		3.966		Yes		7/10/25 9:47		RTK		32		1.06		0.51		0.93		9632		-1339		Yes		RTK		3D		1.6		2509		0.472		0.433		0.472		1.282				WME		Water Meter

		UP842		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		842		7/10/25 9:47		3727'35.5128"N		796'32.0811"W		86.453		130208.823		0		UNKNOWN		7		32768		CLASSIC		PEAK WITH ARROWS		140		15.148		100		4		9		13.976		-1.124		-89.724		Yes		7/10/25 9:47		RTK		32		1.09		0.52		0.95		9718		-1339		Yes		RTK		3D		0.8		2509		0.948		0.591		0.63		2.233				WME		Water Meter

		UP843		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		843		7/10/25 9:48		3727'36.2244"N		796'31.7612"W		76.648		130285.47		0		UNKNOWN		102		32768		CLASSIC		PEAK WITH ARROWS		140		9.298		100		2		13		10.63		0.095		-74.461		Yes		7/10/25 9:48		RTK		32		1.09		0.52		0.95		9778		-1339		Yes		RTK		3D		0.8		2509		0.512		0.472		0.63		1.393				WME		Water Meter

		UP844		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		844		7/10/25 9:48		3727'37.3951"N		796'31.2015"W		127.032		130412.502		0		UNKNOWN		17		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		7		5		8.81		-1.931		61.214		Yes		7/10/25 9:48		RTK		32		1.08		0.52		0.95		9848		-1339		Yes		RTK		3D		1.2		2509		0.433		0.362		0.472		1.129				WME		Water Meter

		UP845		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		845		7/10/25 9:48		3727'37.5512"N		796'31.1115"W		17.421		130429.923		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.217		100		1		13		10.452		-2.091		78.413		Yes		7/10/25 9:48		RTK		32		1.08		0.52		0.95		9856		-1339		Yes		RTK		3D		1.2		2509		0.433		0.378		0.472		1.15				WME		Water Meter

		UP846		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		846		7/10/25 9:49		3727'38.1888"N		796'30.8454"W		68.138		130498.061		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		6.393		100		1		9		12.218		-2.489		32.348		Yes		7/10/25 9:49		RTK		31		1.12		0.53		0.98		9869		-1339		Yes		RTK		3D		1.2		2509		0.591		0.472		0.63		1.513				WME		Water Meter

		UP847		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		847		7/10/25 9:50		3727'38.8910"N		796'29.8772"W		105.61		130603.671		0		UNKNOWN		2		32768		CLASSIC		PEAK WITH ARROWS		140		18.865		100		-3		11		18.666		-2.178		78.445		Yes		7/10/25 9:50		FLOAT RTK		32		1.13		0.55		0.98		9897		-1339		Yes		FLOAT RTK		3D		1		2509		12.332		7.914		2.283		29.306				WME		Water Meter

		UP848		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		848		7/10/25 9:50		3727'38.8916"N		796'29.8475"W		2.397		130606.068		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.518		100		8		8		15.175		0.205		79.226		Yes		7/10/25 9:50		RTK		32		1.11		0.54		0.97		9926		-1339		Yes		RTK		3D		2.6		2509		1.157		0.591		0.827		2.599				WME		Water Meter

		UP849		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		849		7/10/25 9:54		3727'39.0448"N		796'30.6229"W		64.35		130670.418		0		UNKNOWN		15		32768		CLASSIC		PEAK WITH ARROWS		140		39.872		100		4		9		36.137		-6.652		64.125		Yes		7/10/25 9:54		FLOAT RTK		32		1.22		0.56		1.09		9917		-1339		Yes		FLOAT RTK		3D		1		2509		9.387		7.914		1.732		24.556				WME		Water Meter

		UP850		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		850		7/10/25 9:54		3727'39.0435"N		796'30.6054"W		1.412		130671.83		0		UNKNOWN		32		32768		CLASSIC		PEAK WITH ARROWS		140		30.44		100		3		9		15.904		1.082		60.775		Yes		7/10/25 9:54		FLOAT RTK		32		1.22		0.56		1.09		9919		-1339		Yes		FLOAT RTK		3D		2.8		2509		10.491		8.098		1.929		26.506				WME		Water Meter

		UP851		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		851		7/10/25 9:55		3727'37.9215"N		796'30.3060"W		116.357		130788.187		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		9.379		100		1		11		17.99		4.105		6.932		Yes		7/10/25 9:55		RTK		32		1.36		0.62		1.21		9900		-1339		Yes		RTK		3D		1		2509		1.157		0.591		0.669		2.599				WME		Water Meter

		UP852		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		852		7/10/25 9:55		3727'37.5629"N		796'30.4857"W		39.153		130827.34		0		UNKNOWN		6		32768		CLASSIC		PEAK WITH ARROWS		140		21.293		100		-3		12		13.708		0.249		15.279		Yes		7/10/25 9:55		RTK		32		1.31		0.6		1.16		9884		-1339		Yes		RTK		3D		1.6		2509		1.05		0.672		0.866		2.493				WME		Water Meter

		UP853		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		853		7/10/25 9:56		3727'36.4875"N		796'30.9333"W		114.902		130942.242		0		UNKNOWN		20		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		3		8		19.026		-0.789		23.54		Yes		7/10/25 9:56		RTK		32		1.1		0.53		0.96		9811		-1339		Yes		RTK		3D		1.6		2509		0.315		0.287		0.394		0.853				WME		Water Meter

		UP854		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		854		7/10/25 9:57		3727'35.5682"N		796'31.4413"W		101.839		131044.082		0		UNKNOWN		29		32768		CLASSIC		PEAK WITH ARROWS		140		48.327		100		-4		10		15.136		-0.284		7.113		Yes		7/10/25 9:57		RTK		32		1.17		0.55		1.04		9721		-1339		Yes		RTK		3D		1.4		2509		2.058		1.64		0.984		5.263				WME		Water Meter

		UP855		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		855		7/10/25 9:59		3727'31.8551"N		796'32.7641"W		391.47		131435.551		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		9.221		100		4		11		13.813		1.288		49.693		Yes		7/10/25 9:59		RTK		32		1.17		0.55		1.03		9565		-1339		Yes		RTK		3D		1.4		2509		0.759		0.512		0.669		1.83				WME		Water Meter

		UP856		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		856		7/10/25 10:00		3727'31.6501"N		796'32.2459"W		46.623		131482.174		0		UNKNOWN		19		32768		CLASSIC		PEAK WITH ARROWS		140		10.479		100		-30		7		13.316		-3.652		-24.456		Yes		7/10/25 10:00		RTK		32		1.32		0.58		1.18		9578		-1339		Yes		RTK		3D		1.4		2509		0.433		0.394		0.472		1.171				WME		Water Meter

		UP857		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		857		7/10/25 10:01		3727'31.2072"N		796'31.2347"W		93.005		131575.18		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.258		100		-4		8		13.57		-2.374		25.601		Yes		7/10/25 10:02		RTK		32		1.24		0.56		1.11		9618		-1339		Yes		RTK		3D		1		2509		0.85		0.759		0.709		2.279				WME		Water Meter

		UP858		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		858		7/10/25 10:02		3727'30.6731"N		796'30.1775"W		100.92		131676.1		0		UNKNOWN		10		32768		CLASSIC		PEAK WITH ARROWS		140		41.33		100		2		6		7.877		-4.714		-8.662		Yes		7/10/25 10:02		RTK		32		1.24		0.56		1.11		9610		-1339		Yes		RTK		3D		1.2		2509		0.472		0.394		0.472		1.23				WME		Water Meter

		UP859		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		859		7/10/25 10:03		3727'30.2320"N		796'28.7971"W		119.834		131795.934		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.602		100		1		9		14.615		0.622		29.854		Yes		7/10/25 10:03		RTK		32		1.24		0.56		1.1		9624		-1339		Yes		RTK		3D		1.4		2509		0.759		0.551		0.63		1.875				WME		Water Meter

		UP860		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		860		7/10/25 10:03		3727'29.6530"N		796'27.3489"W		130.582		131926.516		0		UNKNOWN		5		32768		CLASSIC		PEAK WITH ARROWS		140		14.266		100		11		4		19.279		-0.637		9.269		Yes		7/10/25 10:04		RTK		32		1.19		0.57		1.04		9619		-1339		Yes		RTK		3D		1		2509		0.512		0.378		0.512		1.272				WME		Water Meter

		UP861		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		861		7/10/25 10:04		3727'29.2973"N		796'26.5011"W		77.226		132003.742		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		12.087		100		0		9		23.705		3.922		81.317		Yes		7/10/25 10:04		RTK		32		1.23		0.56		1.1		9678		-1339		Yes		RTK		3D		1		2509		0.759		0.591		0.748		1.923				WME		Water Meter

		UP862		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		862		7/10/25 10:05		3727'28.6509"N		796'25.0155"W		136.426		132140.168		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.206		100		-5		4		19.049		-0.238		89.592		Yes		7/10/25 10:05		RTK		32		1.35		0.57		1.22		9714		-1339		Yes		RTK		3D		1.2		2509		0.85		0.512		0.669		1.985				WME		Water Meter

		UP863		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		863		7/10/25 10:32		3727'39.9550"N		796'10.7611"W		1622.607		133762.775		0		UNKNOWN		24		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		12		12		10.401		-2.27		-10.954		Yes		7/10/25 10:32		RTK		31		1.13		0.59		0.96		10235		-1339		Yes		RTK		3D		1.2		2509		1.774		0.759		0.591		3.859				WME		Water Meter

		UP864		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		864		7/10/25 10:32		3727'39.9683"N		796'10.5113"W		20.163		133782.938		0		UNKNOWN		24		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		-1		3		10.049		-3.374		-66.127		Yes		7/10/25 10:32		RTK		32		1.1		0.57		0.94		10228		-1339		Yes		RTK		3D		1.4		2509		1.05		0.759		0.512		2.59				WME		Water Meter

		UP865		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		865		7/10/25 10:32		3727'39.9675"N		796'10.2692"W		19.49		133802.428		0		UNKNOWN		39		32768		CLASSIC		PEAK WITH ARROWS		140		96.998		100		40		12		20.212		-3.939		1.934		Yes		7/10/25 10:32		RTK		32		1.06		0.57		0.9		10205		-1339		Yes		RTK		3D		1.4		2509		0.759		0.472		0.433		1.787				WME		Water Meter

		UP866		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		866		7/10/25 10:32		3727'39.9706"N		796'10.0168"W		20.33		133822.759		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		6.019		100		-8		13		12.54		-0.665		-68.362		Yes		7/10/25 10:32		RTK		32		1.02		0.53		0.88		10192		-1339		Yes		RTK		3D		0.8		2509		0.672		0.512		0.433		1.689				WME		Water Meter

		UP867		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		867		7/10/25 10:32		3727'39.9758"N		796'9.7722"W		19.704		133842.463		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		14.031		100		-72		5		13.191		-1.441		-40.065		Yes		7/10/25 10:32		RTK		32		1.05		0.56		0.89		10166		-1339		Yes		RTK		3D		0.8		2509		1.05		0.759		0.63		2.59				WME		Water Meter

		UP868		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		868		7/10/25 10:32		3727'39.9805"N		796'9.5311"W		19.422		133861.884		0		UNKNOWN		48		32768		CLASSIC		PEAK WITH ARROWS		140		10.137		100		-130		7		11.757		2.269		-38.718		Yes		7/10/25 10:32		RTK		32		1.03		0.54		0.88		10152		-1339		Yes		RTK		3D		1		2509		1.05		0.672		0.551		2.493				WME		Water Meter

		UP869		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		869		7/10/25 10:33		3727'39.9844"N		796'9.2902"W		19.401		133881.286		0		UNKNOWN		122		32768		CLASSIC		PEAK WITH ARROWS		140		13.688		100		-27		7		12.564		-7.554		-47.494		Yes		7/10/25 10:33		RTK		32		1.16		0.58		1.01		10127		-1339		Yes		RTK		3D		0.8		2509		1.774		1.388		0.827		4.506				WME		Water Meter

		UP870		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		870		7/10/25 10:33		3727'39.9935"N		796'9.1447"W		11.758		133893.044		0		UNKNOWN		32		32768		CLASSIC		PEAK WITH ARROWS		140		42.198		100		-17		8		6.634		1.615		-34.792		Yes		7/10/25 10:33		RTK		32		1.03		0.52		0.88		10113		-1339		Yes		RTK		3D		2.8		2509		1.512		1.05		0.709		3.681				WME		Water Meter

		UP871		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		871		7/10/25 10:33		3727'39.9943"N		796'8.6749"W		37.833		133930.877		0		UNKNOWN		107		32768		CLASSIC		PEAK WITH ARROWS		140		56.943		100		-3		14		9.33		-0.73		62.322		Yes		7/10/25 10:33		RTK		32		1.05		0.56		0.89		10076		-1339		Yes		RTK		3D		1		2509		1.05		0.672		0.512		2.493				WME		Water Meter

		UP872		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		872		7/10/25 10:33		3727'39.9971"N		796'8.5003"W		14.058		133944.935		0		UNKNOWN		78		32768		CLASSIC		PEAK WITH ARROWS		140		18.595		100		5		8		8.78		0.538		79.249		Yes		7/10/25 10:33		RTK		32		1.11		0.56		0.96		10069		-1339		Yes		RTK		3D		1.4		2509		0.85		0.512		0.472		1.985				WME		Water Meter

		UP873		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		873		7/10/25 10:37		3727'42.5423"N		796'6.9324"W		287.428		134232.363		0		UNKNOWN		4		32768		CLASSIC		PEAK WITH ARROWS		140		11.516		100		5		8		9.013		1.604		19.512		Yes		7/10/25 10:37		RTK		32		1.12		0.56		0.97		10268		-1339		Yes		RTK		3D		1.4		2509		0.551		0.394		0.394		1.355				WME		Water Meter

		UP874		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		874		7/10/25 10:37		3727'42.5466"N		796'5.8488"W		87.255		134319.619		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.81		100		16		6		7.14		-0.674		-38.516		Yes		7/10/25 10:37		RTK		32		1.09		0.55		0.94		10286		-1339		Yes		RTK		3D		0.8		2509		2.207		1.157		0.906		4.985				WME		Water Meter

		UP875		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		875		7/10/25 10:39		3727'42.5141"N		796'4.8090"W		83.799		134403.417		0		UNKNOWN		10		32768		CLASSIC		PEAK WITH ARROWS		140		69.356		100		-6		8		12.407		-0.195		11.665		Yes		7/10/25 10:39		RTK		32		1.2		0.57		1.06		10266		-1339		Yes		RTK		3D		0.8		2509		0.759		0.472		0.512		1.787				WME		Water Meter

		UP876		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		876		7/10/25 10:46		3727'45.3562"N		795'50.2481"W		1207.471		135610.888		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.639		100		-1		12		8.794		0.956		-77.338		Yes		7/10/25 10:46		RTK		32		1.1		0.56		0.95		10058		-1339		Yes		RTK		3D		1		2509		0.551		0.472		0.394		1.452				WME		Water Meter

		UP877		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		877		7/10/25 10:47		3727'44.2155"N		795'52.6843"W		227.769		135838.657		0		UNKNOWN		10		32768		CLASSIC		PEAK WITH ARROWS		140		13.321		100		-11		7		14.779		2.366		37.948		Yes		7/10/25 10:47		RTK		32		1.07		0.53		0.93		10077		-1339		Yes		RTK		3D		1.2		2509		0.394		0.307		0.394		0.999				WME		Water Meter

		UP878		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		878		7/10/25 10:48		3727'44.0205"N		795'53.5305"W		70.948		135909.605		0		UNKNOWN		12		32768		CLASSIC		PEAK WITH ARROWS		140		27.34		100		-46		10		13.066		1.277		25.79		Yes		7/10/25 10:48		RTK		32		1.07		0.53		0.93		10096		-1339		Yes		RTK		3D		1.2		2509		0.433		0.386		0.394		1.16				WME		Water Meter

		UP879		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		879		7/10/25 10:49		3727'43.5526"N		795'54.9673"W		125.061		136034.666		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.136		100		1		4		9.913		0.198		62.751		Yes		7/10/25 10:49		RTK		32		1.06		0.53		0.92		10136		-1339		Yes		RTK		3D		1.2		2509		0.591		0.472		0.433		1.513				WME		Water Meter

		UP880		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		880		7/10/25 10:50		3727'43.3976"N		795'55.6847"W		59.872		136094.538		0		UNKNOWN		134		32768		CLASSIC		PEAK WITH ARROWS		140		20.606		100		-12		10		10.239		1.753		29.057		Yes		7/10/25 10:50		RTK		32		0.98		0.49		0.85		10157		-1339		Yes		RTK		3D		0.6		2509		0.394		0.358		0.394		1.065				WME		Water Meter

		UP881		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		881		7/10/25 10:51		3727'43.1311"N		795'56.9830"W		107.989		136202.527		0		UNKNOWN		1702		32768		CLASSIC		PEAK WITH ARROWS		140		4.581		100		3		11		10.506		-1.373		-2.017		Yes		7/10/25 10:51		RTK		32		1.06		0.53		0.92		10162		-1339		Yes		RTK		3D		0.8		2509		0.85		0.472		0.472		1.946				WME		Water Meter

		UP882		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		882		7/10/25 10:52		3727'43.0278"N		795'59.5232"W		204.825		136407.352		0		UNKNOWN		42		32768		CLASSIC		PEAK WITH ARROWS		140		25.794		100		7		9		16.917		-3.801		4.91		Yes		7/10/25 10:52		RTK		32		1.06		0.53		0.91		10196		-1339		Yes		RTK		3D		1.4		2509		1.27		0.759		0.669		2.959				WME		Water Meter

		UP883		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		883		7/10/25 10:52		3727'43.2258"N		796'1.3828"W		151.086		136558.438		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		7.478		100		71		6		13.526		-0.542		-35.854		Yes		7/10/25 10:52		RTK		32		0.99		0.51		0.85		10236		-1339		Yes		RTK		3D		1		2509		0.672		0.472		0.433		1.643				WME		Water Meter

		UP884		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		884		7/10/25 10:53		3727'43.2233"N		796'4.0678"W		216.214		136774.652		0		UNKNOWN		69		32768		CLASSIC		PEAK WITH ARROWS		140		14.229		100		-1		10		9.164		0.782		-18.911		Yes		7/10/25 10:53		RTK		32		1.03		0.52		0.89		10279		-1339		Yes		RTK		3D		1		2509		0.85		0.551		0.551		2.027				WME		Water Meter

		UP885		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		885		7/10/25 10:54		3727'43.2098"N		796'6.9282"W		230.347		137004.999		0		UNKNOWN		299		32768		CLASSIC		PEAK WITH ARROWS		140		7.664		100		-2		10		11.582		-0.148		32.948		Yes		7/10/25 10:54		RTK		32		0.98		0.5		0.84		10317		-1339		Yes		RTK		3D		1.2		2509		0.551		0.394		0.394		1.355				WME		Water Meter

		UP886		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		886		7/10/25 11:32		3727'43.8571"N		795'52.0917"W		1196.545		138201.544		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.968		100		16		5		12.62		-3.988		-87.703		Yes		7/10/25 11:32		RTK		32		0.94		0.53		0.77		10082		-1339		Yes		RTK		3D		2		2509		0.948		0.551		0.551		2.192				WME		Water Meter

		UP887		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		887		7/10/25 11:32		3727'44.1772"N		795'51.2785"W		73.09		138274.634		0		UNKNOWN		35		32768		CLASSIC		PEAK WITH ARROWS		140		8.691		100		-45		6		8.128		-3.549		73.592		Yes		7/10/25 11:33		RTK		32		0.93		0.53		0.77		10070		-1339		Yes		RTK		3D		1.6		2509		0.672		0.512		0.472		1.689				WME		Water Meter

		UP888		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		888		7/10/25 11:34		3727'44.5567"N		795'50.1126"W		101.475		138376.109		0		UNKNOWN		239		32768		CLASSIC		PEAK WITH ARROWS		140		2.549		100		-2		9		14.936		1.92		-89.119		Yes		7/10/25 11:34		RTK		31		1.05		0.57		0.88		10047		-1339		Yes		RTK		3D		1.4		2509		1.157		0.759		0.827		2.768				WME		Water Meter

		UP889		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		889		7/10/25 11:34		3727'45.0045"N		795'48.9871"W		101.38		138477.49		0		UNKNOWN		223		32768		CLASSIC		PEAK WITH ARROWS		140		2.889		100		3		9		11.086		2.197		57.423		Yes		7/10/25 11:34		RTK		32		1.08		0.57		0.91		9995		-1339		Yes		RTK		3D		1		2509		0.759		0.512		0.63		1.83				WME		Water Meter

		UP890		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		890		7/10/25 11:35		3727'45.9372"N		795'47.1777"W		173.734		138651.224		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		24.213		100		-28		6		11.534		1.172		60.132		Yes		7/10/25 11:35		RTK		31		1.01		0.56		0.84		9958		-1339		Yes		RTK		3D		0.8		2509		0.591		0.394		0.472		1.42				WME		Water Meter

		UP891		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		891		7/10/25 11:36		3727'46.5564"N		795'46.0672"W		109.286		138760.51		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.543		100		3		9		12.266		-1.223		5.223		Yes		7/10/25 11:36		RTK		32		0.98		0.55		0.81		9943		-1339		Yes		RTK		3D		1.2		2509		1.913		1.27		1.024		4.593				WME		Water Meter

		UP892		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		892		7/10/25 11:37		3727'47.9137"N		795'45.0154"W		161.657		138922.167		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.717		100		1		9		10.98		0.232		-27.816		Yes		7/10/25 11:37		RTK		32		1.07		0.6		0.89		9898		-1339		Yes		RTK		3D		1		2509		0.85		0.512		0.591		1.985				WME		Water Meter

		UP893		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		893		7/10/25 11:39		3727'50.1883"N		795'44.0872"W		242.566		139164.733		0		UNKNOWN		9		32768		CLASSIC		PEAK WITH ARROWS		140		12.088		100		0		10		10.61		-1.934		39.697		Yes		7/10/25 11:39		RTK		32		1.04		0.6		0.86		9855		-1339		Yes		RTK		3D		1.2		2509		1.388		0.759		0.709		3.164				WME		Water Meter

		UP894		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		894		7/10/25 11:40		3727'50.7044"N		795'45.1234"W		98.514		139263.247		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.294		100		1		11		11.932		0.256		78.352		Yes		7/10/25 11:40		RTK		32		1.01		0.56		0.84		9802		-1339		Yes		RTK		3D		1.2		2509		1.157		0.759		0.748		2.768				WME		Water Meter

		UP895		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		895		7/10/25 11:42		3727'47.5107"N		795'46.2694"W		336.889		139600.136		0		UNKNOWN		15		32768		CLASSIC		PEAK WITH ARROWS		140		9.066		100		-6		8		9.207		1.08		12.537		Yes		7/10/25 11:42		RTK		32		1.01		0.57		0.83		9923		-1339		Yes		RTK		3D		1		2509		1.913		1.157		0.906		4.472				WME		Water Meter

		UP896		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		896		7/10/25 11:43		3727'46.6556"N		795'47.5405"W		134.172		139734.308		0		UNKNOWN		3		32768		CLASSIC		PEAK WITH ARROWS		140		11.082		100		4		5		11.281		0.761		-54.59		Yes		7/10/25 11:43		RTK		32		1.02		0.58		0.84		9970		-1339		Yes		RTK		3D		1.6		2509		1.157		0.85		0.787		2.873				WME		Water Meter

		UP897		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		897		7/10/25 11:44		3727'45.8239"N		795'49.5191"W		180.295		139914.604		0		UNKNOWN		15		32768		CLASSIC		PEAK WITH ARROWS		140		39.725		100		-9		7		12.678		-1.406		49.603		Yes		7/10/25 11:44		RTK		32		1.05		0.59		0.87		10018		-1339		Yes		RTK		3D		0.8		2509		0.433		0.394		0.433		1.171				WME		Water Meter

		UP898		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		898		7/10/25 11:47		3727'42.2675"N		795'23.2422"W		2146.536		142061.14		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.45		100		-5		9		5.833		-2.117		-29.211		Yes		7/10/25 11:47		RTK		32		1.03		0.55		0.87		8989		-1339		Yes		RTK		3D		0.8		2509		0.759		0.472		0.551		1.787				WME		Water Meter

		UP899		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		899		7/10/25 11:50		3727'43.5463"N		795'24.2805"W		154.347		142215.486		0		UNKNOWN		10		32768		CLASSIC		PEAK WITH ARROWS		140		8.906		100		6		10		11.13		2.405		-46.83		Yes		7/10/25 11:50		FLOAT RTK		32		1.07		0.57		0.9		8861		-1339		Yes		FLOAT RTK		3D		1.4		2509		12.332		9.571		1.969		31.22				WME		Water Meter

		UP900		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		900		7/10/25 11:55		3727'52.3847"N		795'39.7812"W		1536.877		143752.364		0		UNKNOWN		1		32768		CLASSIC		PEAK WITH ARROWS		140		17.956		100		3		9		15.814		1.086		-12.257		Yes		7/10/25 11:55		RTK		32		1.03		0.56		0.87		9739		-1339		Yes		RTK		3D		1		2509		0.759		0.551		0.551		1.875				WME		Water Meter

		UP901		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		901		7/10/25 12:02		3727'52.3586"N		795'36.8124"W		239.07		143991.433		0		UNKNOWN		2		32768		CLASSIC		PEAK WITH ARROWS		140		13.169		100		0		11		9.634		0.577		-73.882		Yes		7/10/25 12:02		RTK		31		1.24		0.72		1.01		9712		-1339		Yes		RTK		3D		1		2509		2.522		0.759		0.827		5.268				WME		Water Meter

		UP902		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		902		7/10/25 12:07		3727'50.4687"N		795'34.1081"W		290.136		144281.569		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.064		100		47		11		13.004		-0.27		-47.11		Yes		7/10/25 12:07		RTK		31		1.14		0.59		0.98		9646		-1339		Yes		RTK		3D		1.2		2509		1.27		0.948		0.748		3.17				WME		Water Meter

		UP903		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		903		7/10/25 12:07		3727'50.4379"N		795'34.0471"W		5.829		144287.398		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.215		100		-5		7		11.413		-4.02		-61.394		Yes		7/10/25 12:07		RTK		31		1.13		0.59		0.96		9645		-1339		Yes		RTK		3D		1.4		2509		0.85		0.672		0.63		2.168				WME		Water Meter

		UP904		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		904		7/10/25 12:10		3727'49.5769"N		795'32.9140"W		126.308		144413.706		0		UNKNOWN		63		32768		CLASSIC		PEAK WITH ARROWS		140		9.826		100		-1		10		27.092		-0.93		44.315		Yes		7/10/25 12:10		RTK		32		1.11		0.58		0.95		9673		-1339		Yes		RTK		3D		1		2509		0.551		0.472		0.472		1.452				WME		Water Meter

		UP905		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		905		7/10/25 12:13		3727'48.2479"N		795'30.6462"W		226.994		144640.7		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.267		100		-106		10		12.038		-0.853		70.066		Yes		7/10/25 12:13		RTK		32		1.11		0.59		0.94		9585		-1339		Yes		RTK		3D		0.8		2509		1.157		0.85		0.669		2.873				WME		Water Meter

		UP906		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		906		7/10/25 12:14		3727'48.4947"N		795'33.1800"W		205.559		144846.259		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		2.611		100		22		6		11.037		-0.7		-35.903		Yes		7/10/25 12:14		FLOAT RTK		32		1.1		0.58		0.93		9634		-1339		Yes		FLOAT RTK		3D		1.2		2509		10.859		6.626		1.339		25.442				WME		Water Meter

		UP907		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		907		7/10/25 12:17		3727'50.9890"N		795'37.8817"W		455.387		145301.647		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		7.877		100		8		10		9.166		0.211		-75.448		Yes		7/10/25 12:17		FLOAT RTK		31		1.11		0.59		0.94		9714		-1339		Yes		FLOAT RTK		3D		1.4		2509		3.681		2.393		0.472		8.781				WME		Water Meter

		UP908		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		908		7/10/25 12:18		3727'51.2797"N		795'40.7897"W		236.02		145537.667		0		UNKNOWN		7		32768		CLASSIC		PEAK WITH ARROWS		140		6.693		100		0		9		11.448		-0.41		42.095		Yes		7/10/25 12:18		RTK		32		1.15		0.61		0.98		9784		-1339		Yes		RTK		3D		1.4		2509		3.034		0.948		0.63		6.357				WME		Water Meter

		UP909		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		909		7/10/25 12:27		3727'52.4643"N		795'37.0181"W		326.62		145864.287		0		UNKNOWN		21		32768		CLASSIC		PEAK WITH ARROWS		140		10.424		100		0		10		22.345		4.063		-40.177		Yes		7/10/25 12:27		RTK		32		1.12		0.61		0.94		9724		-1339		Yes		RTK		3D		1.6		2509		0.672		0.472		0.433		1.643				WME		Water Meter

		UP910		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		910		7/10/25 12:33		3727'38.3500"N		795'18.1172"W		2089.709		147953.996		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		17.928		100		-1		10		12.867		-1.148		29.833		Yes		7/10/25 12:33		RTK		32		1.04		0.57		0.87		9572		-1339		Yes		RTK		3D		6.4		2509		0.948		0.512		0.551		2.154				WME		Water Meter

		UP911		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		911		7/10/25 12:33		3727'37.9359"N		795'17.5947"W		59.458		148013.454		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.383		100		10		5		12.554		-0.49		-42.973		Yes		7/10/25 12:33		RTK		32		1		0.53		0.84		9594		-1339		Yes		RTK		3D		0.6		2509		1.774		1.64		0.827		4.833				WME		Water Meter

		UP912		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		912		7/10/25 12:34		3727'37.7875"N		795'16.1244"W		119.358		148132.812		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		12.024		100		4		7		13.374		1.522		-49.005		Yes		7/10/25 12:34		RTK		32		1.1		0.57		0.95		9713		-1339		Yes		RTK		3D		1		2509		0.948		0.551		0.512		2.192				WME		Water Meter

		UP913		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		913		7/10/25 12:35		3727'37.6585"N		795'13.4455"W		216.126		148348.939		0		UNKNOWN		6		32768		CLASSIC		PEAK WITH ARROWS		140		27.362		100		5		9		8.937		1.12		59.934		Yes		7/10/25 12:35		RTK		32		1.13		0.57		0.97		9854		-1340		Yes		RTK		3D		0.8		2509		1.157		0.672		0.591		2.677				WME		Water Meter

		UP914		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		914		7/10/25 12:37		3727'37.0936"N		795'16.6146"W		261.565		148610.504		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.148		100		113		9		10.179		1.139		11.893		Yes		7/10/25 12:37		RTK		32		1.14		0.58		0.99		9643		-1339		Yes		RTK		3D		0.8		2509		1.913		1.913		0.827		5.412				WME		Water Meter

		UP915		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		915		7/10/25 12:37		3727'37.3656"N		795'18.2794"W		136.873		148747.377		0		UNKNOWN		27		32768		CLASSIC		PEAK WITH ARROWS		140		15.824		100		-13		7		11.287		-2.522		33.865		Yes		7/10/25 12:37		RTK		32		1.14		0.57		0.98		9530		-1339		Yes		RTK		3D		1.2		2509		0.672		0.591		0.472		1.789				WME		Water Meter

		UP916		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		916		7/10/25 12:38		3727'37.8416"N		795'19.6560"W		120.917		148868.293		0		UNKNOWN		12		32768		CLASSIC		PEAK WITH ARROWS		140		9.955		100		-8		9		13.194		0.502		-87.763		Yes		7/10/25 12:38		RTK		32		1.14		0.57		0.98		9406		-1339		Yes		RTK		3D		1.4		2509		1.157		1.157		0.63		3.274				WME		Water Meter

		UP917		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		917		7/10/25 12:39		3727'38.2709"N		795'20.6026"W		87.795		148956.089		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.826		100		25		10		12.153		0.139		88.431		Yes		7/10/25 12:39		RTK		32		1.14		0.57		0.98		9289		-1339		Yes		RTK		3D		1		2509		1.27		0.759		0.512		2.959				WME		Water Meter

		UP918		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		918		7/10/25 12:41		3727'39.2356"N		795'20.6256"W		97.882		149053.971		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.666		100		-2		11		10.517		-0.187		-31.523		Yes		7/10/25 12:41		RTK		32		1.13		0.57		0.98		9283		-1339		Yes		RTK		3D		1.4		2509		0.759		0.672		0.551		2.027				WME		Water Meter

		UP919		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		919		7/10/25 12:41		3727'39.2587"N		795'20.6310"W		2.383		149056.354		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.139		100		-15		7		14.729		-2.218		-15.938		Yes		7/10/25 12:41		RTK		32		1.05		0.57		0.89		9281		-1339		Yes		RTK		3D		2.4		2509		0.759		0.759		0.551		2.145				WME		Water Meter

		UP920		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		920		7/10/25 12:46		3727'39.2662"N		795'20.6557"W		2.131		149058.485		0		UNKNOWN		276		32768		CLASSIC		PEAK WITH ARROWS		140		7.788		100		1		12		6.661		-4.407		-24.496		Yes		7/10/25 12:46		RTK		31		1.12		0.57		0.96		9277		-1339		Yes		RTK		3D		1.2		2509		0.759		0.591		0.472		1.923				WME		Water Meter

		UP921		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		921		7/10/25 12:46		3727'39.2909"N		795'20.6586"W		2.516		149061.002		0		UNKNOWN		2		32768		CLASSIC		PEAK WITH ARROWS		140		35.293		100		-4		10		18.099		-0.019		16.859		Yes		7/10/25 12:46		RTK		31		1.16		0.59		1		9276		-1339		Yes		RTK		3D		1.6		2509		1.27		0.948		0.63		3.17				WME		Water Meter

		UP922		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		922		7/10/25 12:46		3727'39.3024"N		795'20.6893"W		2.734		149063.736		0		UNKNOWN		279		32768		CLASSIC		PEAK WITH ARROWS		140		6.516		100		27		6		5.628		0.356		63.085		Yes		7/10/25 12:47		RTK		30		1.12		0.57		0.96		9275		-1339		Yes		RTK		3D		2.2		2509		1.512		0.948		0.63		3.568				WME		Water Meter

		UP923		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		923		7/22/25 11:37		3726'1.4954"N		796'26.7865"W		0		149063.736		0		UNKNOWN		69		32768		CLASSIC		PEAK WITH ARROWS		140		17.403		100		-1		8		6.851		-0.53		-71.385		Yes		7/22/25 11:37		RTK		25		1.31		0.7		1.11		8739		-1339		Yes		RTK		3D		1.4		1326		1.27		1.05		0.709		3.296				WME		Water Meter

		UP924		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		924		7/22/25 11:40		3726'1.6271"N		796'27.9724"W		96.459		149160.195		0		UNKNOWN		34		32768		CLASSIC		PEAK WITH ARROWS		140		26.158		100		3		12		10.189		0.159		-12.221		Yes		7/22/25 11:40		RTK		32		1.04		0.57		0.87		8705		-1339		Yes		RTK		3D		0.6		1326		0.672		0.551		0.472		1.738				WME		Water Meter

		UP925		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		925		7/22/25 11:41		3726'1.7733"N		796'29.0250"W		86.086		149246.281		0		UNKNOWN		24		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		-1		6		12.863		-0.472		-13.019		Yes		7/22/25 11:41		RTK		32		1.04		0.57		0.86		8699		-1339		Yes		RTK		3D		1.4		1326		0.759		0.591		0.512		1.923				WME		Water Meter

		UP926		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		926		7/22/25 11:42		3726'1.9449"N		796'30.1885"W		95.331		149341.612		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		6.665		100		-36		8		10.799		-1.349		43.745		Yes		7/22/25 11:42		RTK		32		1.03		0.57		0.86		8694		-1339		Yes		RTK		3D		0.6		1326		1.27		0.948		0.63		3.17				WME		Water Meter

		UP927		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		927		7/22/25 11:43		3726'2.1232"N		796'31.7349"W		125.881		149467.492		0		UNKNOWN		52		32768		CLASSIC		PEAK WITH ARROWS		140		8.897		100		8		9		8.134		-1.787		30.244		Yes		7/22/25 11:43		RTK		32		1.03		0.57		0.86		8715		-1339		Yes		RTK		3D		1.2		1326		0.85		0.591		0.512		2.071				WME		Water Meter

		UP928		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		928		7/22/25 11:45		3726'2.3086"N		796'32.6540"W		76.393		149543.885		0		UNKNOWN		67		32768		CLASSIC		PEAK WITH ARROWS		140		42.135		100		32		10		10.745		0.646		-62.762		Yes		7/22/25 11:45		RTK		32		1.01		0.56		0.84		8732		-1339		Yes		RTK		3D		1.4		1326		1.64		0.948		0.709		3.789				WME		Water Meter

		UP929		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		929		7/22/25 11:46		3726'2.4580"N		796'33.7545"W		89.937		149633.822		0		UNKNOWN		27		32768		CLASSIC		PEAK WITH ARROWS		140		43.884		100		-183		5		5.129		-1.089		-71.081		Yes		7/22/25 11:46		RTK		32		1.05		0.58		0.88		8712		-1339		Yes		RTK		3D		1.2		1326		1.774		0.948		0.906		4.023				WME		Water Meter

		UP930		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		930		7/22/25 11:46		3726'2.6662"N		796'35.4945"W		141.757		149775.578		0		UNKNOWN		426		32768		CLASSIC		PEAK WITH ARROWS		140		4.395		100		-24		9		6.773		2.599		36.45		Yes		7/22/25 11:47		RTK		32		1		0.56		0.83		8637		-1339		Yes		RTK		3D		1.4		1326		1.05		0.759		0.591		2.59				WME		Water Meter

		UP931		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		931		7/22/25 11:48		3726'2.8485"N		796'36.5826"W		89.584		149865.163		0		UNKNOWN		34		32768		CLASSIC		PEAK WITH ARROWS		140		29.118		100		-6		8		6.83		-1.715		38.925		Yes		7/22/25 11:48		RTK		31		1.04		0.57		0.87		8579		-1339		Yes		RTK		3D		1.4		1326		0.472		0.433		0.394		1.282				WME		Water Meter

		UP932		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		932		7/22/25 11:49		3726'3.0450"N		796'38.5566"W		160.26		150025.423		0		UNKNOWN		20		32768		CLASSIC		PEAK WITH ARROWS		140		20.751		100		21		11		11.351		-0.055		-74.523		Yes		7/22/25 11:49		RTK		31		1.04		0.57		0.86		8483		-1339		Yes		RTK		3D		1		1326		0.948		0.551		0.512		2.192				WME		Water Meter

		UP933		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		933		7/22/25 11:50		3726'4.4044"N		796'39.2501"W		148.795		150174.218		0		UNKNOWN		36		32768		CLASSIC		PEAK WITH ARROWS		140		9.131		100		-24		9		10.702		0.407		-79.352		Yes		7/22/25 11:51		RTK		31		1.07		0.59		0.9		8494		-1339		Yes		RTK		3D		1.2		1326		1.64		1.157		0.748		4.015				WME		Water Meter

		UP934		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		934		7/22/25 11:53		3726'3.5669"N		796'38.1788"W		121.103		150295.321		0		UNKNOWN		27		32768		CLASSIC		PEAK WITH ARROWS		140		26.465		100		2		7		18.068		-2.147		-2.885		Yes		7/22/25 11:53		RTK		32		1.03		0.57		0.86		8547		-1339		Yes		RTK		3D		1.2		1326		0.85		0.591		0.472		2.071				WME		Water Meter

		UP935		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		935		7/22/25 11:53		3726'3.4208"N		796'36.9400"W		100.892		150396.213		0		UNKNOWN		2		32768		CLASSIC		PEAK WITH ARROWS		140		10.37		100		-1		7		9.636		0.603		-82.651		Yes		7/22/25 11:53		RTK		32		1.03		0.57		0.85		8607		-1339		Yes		RTK		3D		1.2		1326		3.034		1.774		0.906		7.03				WME		Water Meter

		UP936		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		936		7/22/25 11:55		3726'3.0585"N		796'34.5609"W		195.143		150591.356		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		5.665		100		23		4		9.621		-3.229		-66.602		Yes		7/22/25 11:55		RTK		32		1.02		0.57		0.85		8696		-1339		Yes		RTK		3D		1		1326		0.591		0.472		0.394		1.513				WME		Water Meter

		UP937		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		937		7/22/25 11:55		3726'3.0509"N		796'34.5318"W		2.464		150593.82		0		UNKNOWN		57		32768		CLASSIC		PEAK WITH ARROWS		140		88.988		100		-3		6		10.847		-2.043		-11.885		Yes		7/22/25 11:55		RTK		32		1.02		0.57		0.85		8696		-1339		Yes		RTK		3D		1		1326		0.394		0.343		0.394		1.044				WME		Water Meter

		UP938		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		938		7/22/25 11:59		3726'2.8167"N		796'32.6268"W		155.295		150749.115		0		UNKNOWN		73		32768		CLASSIC		PEAK WITH ARROWS		140		70.08		100		6		3		10.709		-5.83		10.958		Yes		7/22/25 11:59		FLOAT RTK		31		1.01		0.57		0.84		8748		-1339		Yes		FLOAT RTK		3D		1.2		1326		3.865		2.577		0.512		9.291				WME		Water Meter

		UP939		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		939		7/22/25 12:00		3726'2.7478"N		796'32.0567"W		46.454		150795.569		0		UNKNOWN		47		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		-2		1		8.657		-0.285		55.226		Yes		7/22/25 12:00		RTK		29		0.99		0.55		0.83		8799		-1339		Yes		RTK		3D		1.2		1326		0.948		0.672		0.512		2.323				WME		Water Meter

		UP940		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		940		7/22/25 12:04		3726'2.4915"N		796'29.7537"W		187.336		150982.904		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0		100		-40		9		13.178		-1.452		-12.951		Yes		7/22/25 12:04		RTK		32		0.98		0.55		0.82		8760		-1339		Yes		RTK		3D		0.8		1326		0.512		0.433		0.394		1.341				WME		Water Meter

		UP941		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		941		7/22/25 12:06		3726'2.9919"N		796'27.1811"W		213.367		151196.271		0		UNKNOWN		22		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		6		4		12.836		-0.421		55.182		Yes		7/22/25 12:06		RTK		32		0.98		0.55		0.81		8857		-1339		Yes		RTK		3D		0.8		1326		0.512		0.472		0.394		1.393				WME		Water Meter

		UP942		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		942		7/22/25 12:07		3726'3.2605"N		796'26.3983"W		68.696		151264.967		0		UNKNOWN		25		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		-5		6		12.058		0.809		-10.89		Yes		7/22/25 12:07		RTK		32		0.94		0.54		0.77		8907		-1339		Yes		RTK		3D		1		1326		0.472		0.433		0.394		1.282				WME		Water Meter

		UP943		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		943		7/22/25 12:09		3726'2.5329"N		796'23.2458"W		264.47		151529.437		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		26.667		100		-4		4		14.63		-0.341		63.579		Yes		7/22/25 12:09		RTK		32		1.01		0.57		0.83		8873		-1339		Yes		RTK		3D		1.2		1326		0.85		0.672		0.512		2.168				WME		Water Meter

		UP944		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		944		7/22/25 12:09		3726'2.6220"N		796'22.5466"W		57.043		151586.481		0		UNKNOWN		79		32768		CLASSIC		PEAK WITH ARROWS		140		17.535		100		7		11		14.196		-0.872		4.277		Yes		7/22/25 12:09		RTK		32		0.97		0.55		0.8		8928		-1339		Yes		RTK		3D		1.2		1326		1.388		1.27		0.669		3.764				WME		Water Meter

		UP945		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		945		7/22/25 12:10		3726'2.7198"N		796'21.6377"W		73.89		151660.371		0		UNKNOWN		30		32768		CLASSIC		PEAK WITH ARROWS		140		15.557		100		11		5		17.984		0.882		-39.577		Yes		7/22/25 12:10		RTK		30		0.96		0.55		0.79		8975		-1339		Yes		RTK		3D		0.6		1326		1.27		0.85		0.63		3.057				WME		Water Meter

		UP946		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		946		7/22/25 12:12		3726'3.2833"N		796'19.4056"W		188.682		151849.053		0		UNKNOWN		93		32768		CLASSIC		PEAK WITH ARROWS		140		12.445		100		-3		7		9.644		-3.176		43.065		Yes		7/22/25 12:12		RTK		32		0.99		0.56		0.82		8994		-1339		Yes		RTK		3D		1.2		1326		0.759		0.551		0.472		1.875				WME		Water Meter

		UP947		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		947		7/22/25 12:16		3726'3.3645"N		796'18.9531"W		37.365		151886.417		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		2.753		100		0		12		13.715		-0.946		82.353		Yes		7/22/25 12:16		RTK		31		1.04		0.58		0.86		8949		-1339		Yes		RTK		3D		1.6		1326		1.05		0.672		0.591		2.493				WME		Water Meter

		UP948		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		948		7/22/25 12:27		3726'3.6005"N		796'18.0954"W		73.124		151959.542		0		UNKNOWN		26		32768		CLASSIC		PEAK WITH ARROWS		140		11.91		100		2		7		8.78		-2.073		57.668		Yes		7/22/25 12:27		RTK		31		1.25		0.66		1.06		8915		-1339		Yes		RTK		3D		1.4		1326		1.157		1.05		0.787		3.125				WME		Water Meter

		UP949		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		949		7/22/25 12:28		3726'3.9265"N		796'15.7896"W		188.674		152148.216		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		6.885		100		11		7		14.598		-1.276		80.057		Yes		7/22/25 12:28		RTK		32		1.22		0.66		1.03		9022		-1339		Yes		RTK		3D		1.4		1326		0.759		0.759		0.551		2.145				WME		Water Meter

		UP950		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		950		7/22/25 12:28		3726'3.8724"N		796'15.2704"W		42.183		152190.398		0		UNKNOWN		6		32768		CLASSIC		PEAK WITH ARROWS		140		37.259		100		-1		8		15.735		0.698		48.969		Yes		7/22/25 12:28		RTK		32		1.22		0.66		1.03		9061		-1339		Yes		RTK		3D		1.2		1326		0.672		0.591		0.551		1.789				WME		Water Meter

		UP951		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		951		7/22/25 12:29		3726'3.6226"N		796'14.0822"W		99.012		152289.41		0		UNKNOWN		2		32768		CLASSIC		PEAK WITH ARROWS		140		28.768		100		-1		11		18.999		0.546		28.031		Yes		7/22/25 12:29		RTK		32		1.22		0.66		1.03		9138		-1339		Yes		RTK		3D		1		1326		0.672		0.672		0.551		1.9				WME		Water Meter

		UP952		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		952		7/22/25 12:29		3726'3.5011"N		796'13.2417"W		68.825		152358.235		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		27.266		100		0		11		18.015		-3.603		-65.48		Yes		7/22/25 12:29		RTK		32		1.22		0.66		1.03		9191		-1339		Yes		RTK		3D		1.4		1326		1.05		0.551		0.551		2.372				WME		Water Meter

		UP953		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		953		7/22/25 12:30		3726'3.3000"N		796'12.0652"W		96.943		152455.178		0		UNKNOWN		2		32768		CLASSIC		PEAK WITH ARROWS		140		20.366		100		-1		9		9.934		-0.528		16.562		Yes		7/22/25 12:30		RTK		32		1.17		0.66		0.97		9180		-1339		Yes		RTK		3D		0.8		1326		1.157		0.672		0.748		2.677				WME		Water Meter

		UP954		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		954		7/22/25 12:31		3726'3.0377"N		796'10.8726"W		99.694		152554.872		0		UNKNOWN		22		32768		CLASSIC		PEAK WITH ARROWS		140		30.146		100		0		9		20.829		-3.945		-31.61		Yes		7/22/25 12:31		RTK		32		1.07		0.61		0.88		9130		-1339		Yes		RTK		3D		1.4		1326		0.591		0.472		0.433		1.513				WME		Water Meter

		UP955		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		955		7/22/25 12:32		3726'2.6531"N		796'8.5500"W		191.126		152745.998		0		UNKNOWN		16		32768		CLASSIC		PEAK WITH ARROWS		140		30.78		100		1		5		15.965		-1.44		14.068		Yes		7/22/25 12:32		RTK		29		1.22		0.67		1.03		9140		-1339		Yes		RTK		3D		0.6		1326		0.591		0.591		0.512		1.67				WME		Water Meter

		UP956		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		956		7/22/25 12:33		3726'2.6078"N		796'8.4796"W		7.293		152753.291		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.138		100		-16		9		9.634		0.074		-83.988		Yes		7/22/25 12:33		RTK		31		1.37		0.7		1.18		9130		-1339		Yes		RTK		3D		1.4		1326		0.551		0.472		0.591		1.452				WME		Water Meter

		UP957		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		957		7/22/25 12:35		3726'2.3126"N		796'6.4892"W		163.117		152916.408		0		UNKNOWN		41		32768		CLASSIC		PEAK WITH ARROWS		140		16.677		100		4		11		16.516		-0.593		-5.291		Yes		7/22/25 12:35		RTK		32		1.22		0.67		1.02		9223		-1339		Yes		RTK		3D		0.6		1326		0.759		0.591		0.551		1.923				WME		Water Meter

		UP958		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		958		7/22/25 12:36		3726'2.1104"N		796'5.3866"W		91.158		153007.566		0		UNKNOWN		9		32768		CLASSIC		PEAK WITH ARROWS		140		20.869		100		-1		11		13.15		-2.24		-27.17		Yes		7/22/25 12:36		RTK		32		1.05		0.61		0.86		9275		-1339		Yes		RTK		3D		1.6		1326		0.551		0.512		0.433		1.504				WME		Water Meter

		UP959		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		959		7/22/25 12:37		3726'1.7871"N		796'3.7466"W		136.127		153143.693		0		UNKNOWN		170		32768		CLASSIC		PEAK WITH ARROWS		140		19.321		100		33		8		12.797		2.618		10.079		Yes		7/22/25 12:37		RTK		31		1.05		0.61		0.86		9306		-1339		Yes		RTK		3D		1.4		1326		0.948		0.85		0.591		2.546				WME		Water Meter

		UP960		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		960		7/22/25 12:37		3726'1.7805"N		796'3.7128"W		2.8		153146.493		0		UNKNOWN		8		32768		CLASSIC		PEAK WITH ARROWS		140		21.693		100		-10		11		14.777		1.777		0.785		Yes		7/22/25 12:37		RTK		32		1.09		0.62		0.9		9305		-1339		Yes		RTK		3D		1.4		1326		0.85		0.759		0.591		2.279				WME		Water Meter

		UP961		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		961		7/22/25 12:38		3726'1.4640"N		796'5.4128"W		140.657		153287.15		0		UNKNOWN		38		32768		CLASSIC		PEAK WITH ARROWS		140		27.44		100		7		6		9.958		-0.007		51.22		Yes		7/22/25 12:38		RTK		31		1.05		0.61		0.85		9232		-1339		Yes		RTK		3D		1		1326		0.759		0.672		0.551		2.027				WME		Water Meter

		UP962		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		962		7/22/25 12:38		3726'1.6134"N		796'6.0542"W		53.847		153340.997		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.753		100		-14		6		7.15		2.881		-56.468		Yes		7/22/25 12:38		RTK		32		0.99		0.59		0.8		9212		-1339		Yes		RTK		3D		1.2		1326		0.591		0.433		0.472		1.465				WME		Water Meter

		UP963		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		963		7/22/25 12:39		3726'1.8587"N		796'7.5523"W		123.223		153464.221		0		UNKNOWN		63		32768		CLASSIC		PEAK WITH ARROWS		140		5.491		100		7		11		9.769		-2.523		-59.798		Yes		7/22/25 12:39		RTK		32		0.96		0.57		0.76		9158		-1339		Yes		RTK		3D		0.6		1326		1.27		0.591		0.63		2.802				WME		Water Meter

		UP964		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		964		7/22/25 12:41		3726'2.1288"N		796'8.7828"W		102.844		153567.065		0		UNKNOWN		8		32768		CLASSIC		PEAK WITH ARROWS		140		4.25		100		9		5		44.842		-2.265		-80.874		Yes		7/22/25 12:42		RTK		31		0.99		0.61		0.78		9120		-1339		Yes		RTK		3D		1		1326		0.591		0.472		0.472		1.513				WME		Water Meter

		UP965		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		965		7/22/25 12:43		3726'2.3080"N		796'10.0142"W		100.851		153667.915		0		UNKNOWN		15		32768		CLASSIC		PEAK WITH ARROWS		140		12.186		100		27		7		10.394		2.665		-28.635		Yes		7/22/25 12:43		RTK		32		1.04		0.64		0.83		9070		-1339		Yes		RTK		3D		1.4		1326		0.948		0.591		0.63		2.233				WME		Water Meter

		UP966		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		966		7/22/25 12:43		3726'2.5334"N		796'11.2133"W		99.269		153767.185		0		UNKNOWN		25		32768		CLASSIC		PEAK WITH ARROWS		140		6.992		100		-12		6		11.559		-0.718		-65.624		Yes		7/22/25 12:43		RTK		31		1.08		0.63		0.88		9083		-1339		Yes		RTK		3D		1		1326		1.64		1.388		1.102		4.298				WME		Water Meter

		UP967		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		967		7/22/25 12:44		3726'2.7460"N		796'12.3574"W		94.653		153861.838		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		5.217		100		-1		10		11.887		0.062		-61.649		Yes		7/22/25 12:44		RTK		31		1.15		0.67		0.94		9104		-1339		Yes		RTK		3D		0.8		1326		1.157		0.948		0.984		2.992				WME		Water Meter

		UP968		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		968		7/22/25 12:45		3726'3.2802"N		796'15.0692"W		225.071		154086.909		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.374		100		-67		9		13.694		0.895		-76.285		Yes		7/22/25 12:45		RTK		29		1.21		0.68		0.99		9069		-1339		Yes		RTK		3D		0.8		1326		1.27		0.551		0.787		2.77				WME		Water Meter

		UP969		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		969		7/22/25 12:46		3726'3.1945"N		796'17.0461"W		159.492		154246.402		0		UNKNOWN		14		32768		CLASSIC		PEAK WITH ARROWS		140		54.339		100		3		6		15.303		2.328		26.455		Yes		7/22/25 12:46		RTK		29		1.21		0.69		0.99		8923		-1339		Yes		RTK		3D		1.2		1326		1.64		1.05		1.181		3.895				WME		Water Meter

		UP970		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		970		7/22/25 12:46		3726'3.0924"N		796'17.8506"W		65.628		154312.029		0		UNKNOWN		62		32768		CLASSIC		PEAK WITH ARROWS		140		25.803		100		2		6		9.147		1.869		41.909		Yes		7/22/25 12:46		RTK		29		1.21		0.69		0.99		8906		-1339		Yes		RTK		3D		1.2		1326		2.058		1.27		1.181		4.837				WME		Water Meter

		UP971		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		971		7/22/25 12:47		3726'2.5325"N		796'19.6438"W		155.222		154467.252		0		UNKNOWN		59		32768		CLASSIC		PEAK WITH ARROWS		140		10.157		100		-7		9		13.154		-1.263		32.774		Yes		7/22/25 12:47		RTK		31		1.1		0.65		0.89		8966		-1339		Yes		RTK		3D		1.8		1326		1.157		0.948		0.906		2.992				WME		Water Meter

		UP972		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		972		7/22/25 12:47		3726'2.2159"N		796'21.0508"W		117.812		154585.064		0		UNKNOWN		82		32768		CLASSIC		PEAK WITH ARROWS		140		5.964		100		1		8		14.903		-3.786		-60.637		Yes		7/22/25 12:47		RTK		31		1.1		0.65		0.89		8961		-1339		Yes		RTK		3D		1		1326		0.512		0.362		0.433		1.254				WME		Water Meter

		UP973		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		973		7/22/25 12:48		3726'2.0930"N		796'22.0543"W		81.792		154666.856		0		UNKNOWN		52		32768		CLASSIC		PEAK WITH ARROWS		140		22.763		100		0		2		10.285		0.849		-72.371		Yes		7/22/25 12:48		RTK		30		1.1		0.65		0.89		8899		-1339		Yes		RTK		3D		0.8		1326		1.27		0.85		0.787		3.057				WME		Water Meter

		UP974		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		974		7/22/25 12:48		3726'1.9462"N		796'23.2472"W		97.242		154764.098		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.068		100		8		7		12.775		-3.373		-75.784		Yes		7/22/25 12:48		RTK		31		1.1		0.65		0.89		8831		-1339		Yes		RTK		3D		1		1326		2.522		1.512		1.142		5.881				WME		Water Meter

		UP975		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		975		7/22/25 12:49		3726'1.8165"N		796'24.3810"W		92.281		154856.379		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0		100		8		7		11.193		-1.519		-87.354		Yes		7/22/25 12:49		RTK		31		1.1		0.65		0.89		8759		-1339		Yes		RTK		3D		0.8		1326		1.774		0.85		0.827		3.935				WME		Water Meter

		UP976		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		976		7/22/25 12:50		3726'1.6998"N		796'25.7562"W		111.41		154967.789		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0		100		64		4		15.301		-3.623		-71.459		Yes		7/22/25 12:50		RTK		31		1.1		0.65		0.89		8744		-1339		Yes		RTK		3D		1.2		1326		3.034		1.774		1.299		7.03				WME		Water Meter

		UP977		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		977		7/24/25 14:33		3726'5.9960"N		796'1.4058"W		2009.426		156977.215		0		UNKNOWN		77		32768		CLASSIC		PEAK WITH ARROWS		140		5.91		100		-4		8		10.797		1.836		-12.618		Yes		7/24/25 14:33		FLOAT RTK		32		1.11		0.64		0.91		9564		-1339		Yes		FLOAT RTK		3D		1.2		2385		3.129		2.393		0.512		7.878				WME		Water Meter

		UP978		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		978		7/24/25 14:34		3726'5.6783"N		796'0.2045"W		102		157079.214		0		UNKNOWN		8		32768		CLASSIC		PEAK WITH ARROWS		140		10.468		100		-1		8		9.849		-0.785		3.957		Yes		7/24/25 14:34		RTK		31		1.16		0.67		0.95		9548		-1339		Yes		RTK		3D		1		2385		0.672		0.551		0.472		1.738				WME		Water Meter

		UP979		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		979		7/24/25 14:35		3726'5.4107"N		795'58.0059"W		179.174		157258.388		0		UNKNOWN		136		32768		CLASSIC		PEAK WITH ARROWS		140		1.972		100		1		13		14.107		-1.478		51.962		Yes		7/24/25 14:35		RTK		32		1.05		0.6		0.86		9783		-1339		Yes		RTK		3D		1.6		2385		0.85		0.759		0.551		2.279				WME		Water Meter

		UP980		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		980		7/24/25 14:35		3726'4.8340"N		795'58.0059"W		58.505		157316.893		0		UNKNOWN		52		32768		CLASSIC		PEAK WITH ARROWS		140		18.177		100		2		11		7.297		-2.266		39.945		Yes		7/24/25 14:35		RTK		32		1.05		0.6		0.86		9808		-1339		Yes		RTK		3D		1		2385		0.759		0.672		0.551		2.027				WME		Water Meter

		UP981		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		981		7/24/25 14:42		3726'5.1558"N		795'57.2771"W		67.171		157384.064		0		UNKNOWN		20		32768		CLASSIC		PEAK WITH ARROWS		140		18.225		100		-23		11		10.118		0.517		-75.04		Yes		7/24/25 14:43		FLOAT RTK		31		1.07		0.62		0.87		9834		-1339		Yes		FLOAT RTK		3D		1.2		2385		8.835		6.626		1.22		22.087				WME		Water Meter

		UP982		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		982		7/24/25 14:53		3726'5.0811"N		795'59.6019"W		187.43		157571.494		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		27.253		100		4		13		9.987		-2.162		6.249		Yes		7/24/25 14:53		RTK		32		0.94		0.55		0.76		9604		-1339		Yes		RTK		3D		1		2385		1.157		0.759		0.591		2.768				WME		Water Meter

		UP983		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		983		7/24/25 14:55		3726'5.3319"N		796'1.6043"W		163.299		157734.793		0		UNKNOWN		149		32768		CLASSIC		PEAK WITH ARROWS		140		9.293		100		-27		8		12.237		-0.89		65.528		Yes		7/24/25 14:55		RTK		31		1.05		0.59		0.87		9526		-1339		Yes		RTK		3D		0.8		2385		0.948		0.672		0.591		2.323				WME		Water Meter

		UP984		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		984		7/24/25 14:55		3726'5.3484"N		796'1.6236"W		2.284		157737.077		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		4.851		100		-8		7		11.276		-1.59		-63.183		Yes		7/24/25 14:55		RTK		31		0.95		0.55		0.77		9523		-1339		Yes		RTK		3D		1.2		2385		0.472		0.394		0.394		1.23				WME		Water Meter

		UP985		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		985		7/24/25 14:56		3726'5.8496"N		796'3.8431"W		185.879		157922.956		0		UNKNOWN		4		32768		CLASSIC		PEAK WITH ARROWS		140		14.248		100		1		10		11.551		2.461		60.239		Yes		7/24/25 14:56		RTK		30		0.98		0.57		0.8		9537		-1339		Yes		RTK		3D		0.8		2385		2.362		1.388		0.906		5.48				WME		Water Meter

		UP986		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		986		7/24/25 14:57		3726'5.8738"N		796'4.4760"W		51.043		157973.999		0		UNKNOWN		81		32768		CLASSIC		PEAK WITH ARROWS		140		7.479		100		0		5		11.593		-3.59		82.475		Yes		7/24/25 14:57		RTK		31		1.01		0.57		0.83		9575		-1339		Yes		RTK		3D		1.2		2385		0.591		0.512		0.472		1.563				WME		Water Meter

		UP987		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		987		7/24/25 14:58		3726'6.1438"N		796'6.1056"W		134.105		158108.104		0		UNKNOWN		6		32768		CLASSIC		PEAK WITH ARROWS		140		32.942		100		-4		12		11.991		-0.995		-15.492		Yes		7/24/25 14:58		RTK		32		1.01		0.57		0.83		9630		-1339		Yes		RTK		3D		1.6		2385		1.05		0.672		0.551		2.493				WME		Water Meter

		UP988		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		988		7/24/25 15:02		3726'6.3978"N		796'7.4374"W		110.335		158218.439		0		UNKNOWN		6		32768		CLASSIC		PEAK WITH ARROWS		140		27.03		100		2		4		12.738		-2.898		-47.359		Yes		7/24/25 15:02		RTK		32		0.95		0.54		0.78		9615		-1339		Yes		RTK		3D		1.2		2385		0.672		0.512		0.472		1.689				WME		Water Meter

		UP989		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		989		7/24/25 15:04		3726'6.5294"N		796'8.2032"W		63.116		158281.555		0		UNKNOWN		48		32768		CLASSIC		PEAK WITH ARROWS		140		9.471		100		-3		7		10.404		-0.561		9.293		Yes		7/24/25 15:04		RTK		32		1.05		0.6		0.87		9578		-1339		Yes		RTK		3D		1.2		2385		1.27		0.591		0.551		2.802				WME		Water Meter

		UP990		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		990		7/24/25 15:04		3726'6.7225"N		796'9.3654"W		95.654		158377.209		0		UNKNOWN		13		32768		CLASSIC		PEAK WITH ARROWS		140		25.55		100		1		10		13.007		2		-62.996		Yes		7/24/25 15:04		RTK		31		0.96		0.55		0.79		9535		-1339		Yes		RTK		3D		1		2385		1.512		1.157		0.748		3.808				WME		Water Meter

		UP991		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		991		7/24/25 15:05		3726'6.9726"N		796'10.9240"W		128.091		158505.3		0		UNKNOWN		100		32768		CLASSIC		PEAK WITH ARROWS		140		20.463		100		-15		4		11.344		1.498		50.096		Yes		7/24/25 15:05		RTK		32		0.96		0.55		0.79		9456		-1339		Yes		RTK		3D		1.6		2385		1.157		1.05		0.63		3.125				WME		Water Meter

		UP992		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		992		7/24/25 15:05		3726'7.2009"N		796'11.9181"W		83.361		158588.661		0		UNKNOWN		11		32768		CLASSIC		PEAK WITH ARROWS		140		58.718		100		3		3		11.431		-0.724		62.221		Yes		7/24/25 15:05		RTK		32		0.94		0.54		0.77		9397		-1339		Yes		RTK		3D		1.2		2385		0.512		0.433		0.394		1.341				WME		Water Meter

		UP993		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		993		7/24/25 15:06		3726'7.3725"N		796'13.3965"W		120.359		158709.02		0		UNKNOWN		43		32768		CLASSIC		PEAK WITH ARROWS		140		43.382		100		7		6		13.241		0.081		-27.773		Yes		7/24/25 15:06		RTK		32		0.97		0.55		0.8		9292		-1339		Yes		RTK		3D		0.6		2385		0.85		0.672		0.551		2.168				WME		Water Meter

		UP994		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		994		7/24/25 15:06		3726'7.6449"N		796'14.3013"W		77.95		158786.97		0		UNKNOWN		117		32768		CLASSIC		PEAK WITH ARROWS		140		8.329		100		2		7		7.554		3.206		84.696		Yes		7/24/25 15:06		RTK		32		1.02		0.58		0.83		9192		-1339		Yes		RTK		3D		1.4		2385		0.948		0.591		0.591		2.233				WME		Water Meter

		UP995		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		995		7/24/25 15:07		3726'7.5971"N		796'18.0996"W		306.011		159092.981		0		UNKNOWN		22		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		2		3		10.705		-2.028		-5.829		Yes		7/24/25 15:07		RTK		32		1.02		0.58		0.84		9375		-1339		Yes		RTK		3D		1.2		2385		0.433		0.366		0.394		1.134				WME		Water Meter

		UP996		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		996		7/24/25 15:08		3726'7.3509"N		796'19.0183"W		78.106		159171.087		0		UNKNOWN		81		32768		CLASSIC		PEAK WITH ARROWS		140		16.458		100		0		2		13.096		-1.779		-86.375		Yes		7/24/25 15:08		RTK		32		1.02		0.56		0.85		9378		-1339		Yes		RTK		3D		1.2		2385		0.948		0.672		0.63		2.323				WME		Water Meter

		UP997		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		997		7/24/25 15:09		3726'6.9708"N		796'20.4950"W		125.053		159296.14		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		4.286		100		8		3		14.806		-1.253		-80.196		Yes		7/24/25 15:09		RTK		32		0.95		0.54		0.78		9364		-1339		Yes		RTK		3D		1.4		2385		0.948		0.759		0.551		2.427				WME		Water Meter

		UP998		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		998		7/24/25 15:09		3726'6.6946"N		796'21.6153"W		94.498		159390.638		0		UNKNOWN		25		32768		CLASSIC		PEAK WITH ARROWS		140		90.674		100		3		6		14.065		0.774		69.024		Yes		7/24/25 15:09		RTK		32		1.1		0.61		0.91		9329		-1339		Yes		RTK		3D		1.2		2385		0.591		0.551		0.433		1.616				WME		Water Meter

		UP999		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		999		7/24/25 15:10		3726'6.5070"N		796'22.6140"W		82.668		159473.306		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		9.569		100		-9		8		8.116		-2.943		82.25		Yes		7/24/25 15:10		RTK		32		0.95		0.53		0.78		9282		-1339		Yes		RTK		3D		1.6		2385		0.672		0.591		0.472		1.789				WME		Water Meter

		UP1000		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1000		7/24/25 15:10		3726'6.3418"N		796'24.0418"W		116.231		159589.537		0		UNKNOWN		23		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		3		4		11.615		1.743		53.926		Yes		7/24/25 15:10		RTK		32		0.98		0.55		0.81		9247		-1339		Yes		RTK		3D		1.6		2385		0.948		0.85		0.591		2.546				WME		Water Meter

		UP1001		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1001		7/24/25 15:11		3726'6.1640"N		796'25.3656"W		108.156		159697.693		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.612		100		-19		10		13.082		1.441		33.389		Yes		7/24/25 15:11		RTK		32		1.03		0.58		0.85		9212		-1339		Yes		RTK		3D		1.2		2385		1.05		0.759		0.591		2.59				WME		Water Meter

		UP1002		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1002		7/24/25 15:11		3726'6.0143"N		796'27.0604"W		137.372		159835.065		0		UNKNOWN		35		32768		CLASSIC		PEAK WITH ARROWS		140		62.88		100		-1		4		12.534		-0.491		-29.33		Yes		7/24/25 15:11		RTK		32		1.03		0.58		0.85		9213		-1339		Yes		RTK		3D		1		2385		0.85		0.551		0.512		2.027				WME		Water Meter

		UP1003		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1003		7/24/25 15:12		3726'6.2058"N		796'28.5496"W		121.526		159956.591		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		5.172		100		0		10		16.002		-0.746		70.95		Yes		7/24/25 15:12		RTK		32		1.11		0.6		0.93		9202		-1339		Yes		RTK		3D		0.6		2385		0.472		0.39		0.394		1.225				WME		Water Meter

		UP1004		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1004		7/24/25 15:12		3726'6.3027"N		796'29.3043"W		61.579		160018.17		0		UNKNOWN		28		32768		CLASSIC		PEAK WITH ARROWS		140		43.36		100		-13		8		10.035		1.697		-30.013		Yes		7/24/25 15:12		RTK		32		1.06		0.58		0.88		9163		-1339		Yes		RTK		3D		1.2		2385		1.157		0.759		0.591		2.768				WME		Water Meter

		UP1005		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1005		7/24/25 15:13		3726'6.5058"N		796'30.7128"W		115.325		160133.495		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		6.343		100		58		8		14.24		-0.405		-54.761		Yes		7/24/25 15:13		RTK		32		1.03		0.57		0.85		9084		-1339		Yes		RTK		3D		0.8		2385		0.672		0.591		0.472		1.789				WME		Water Meter

		UP1006		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1006		7/24/25 15:18		3726'6.5899"N		796'31.3182"W		49.504		160183		0		UNKNOWN		7		32768		CLASSIC		PEAK WITH ARROWS		140		64.345		100		4		6		15.484		0.303		88.7		Yes		7/24/25 15:18		RTK		32		1.07		0.57		0.9		9057		-1339		Yes		RTK		3D		1.4		2385		0.672		0.512		0.472		1.689				WME		Water Meter

		UP1007		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1007		7/24/25 15:18		3726'6.9407"N		796'34.2001"W		234.871		160417.871		0		UNKNOWN		48		32768		CLASSIC		PEAK WITH ARROWS		140		79.861		100		-13		10		15.492		-0.508		-37.033		Yes		7/24/25 15:19		RTK		32		1.07		0.57		0.91		8978		-1339		Yes		RTK		3D		1.2		2385		0.85		0.759		0.591		2.279				WME		Water Meter

		UP1008		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1008		7/24/25 15:20		3726'7.1301"N		796'35.6603"W		119.184		160537.054		0		UNKNOWN		126		32768		CLASSIC		PEAK WITH ARROWS		140		10.775		100		-8		10		12.017		-0.864		62.915		Yes		7/24/25 15:20		RTK		32		1.07		0.57		0.91		8850		-1339		Yes		RTK		3D		2.6		2385		0.672		0.591		0.472		1.789				WME		Water Meter

		UP1009		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1009		7/24/25 15:20		3726'7.2877"N		796'36.6434"W		80.792		160617.846		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.571		100		3		11		10.407		2.617		-80.88		Yes		7/24/25 15:20		RTK		32		1.07		0.57		0.91		8729		-1339		Yes		RTK		3D		1.2		2385		1.157		0.948		0.63		2.992				WME		Water Meter

		UP1010		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1010		7/24/25 15:21		3726'7.4735"N		796'38.1192"W		120.371		160738.217		0		UNKNOWN		143		32768		CLASSIC		PEAK WITH ARROWS		140		17.213		100		-5		6		13.284		-0.06		-1.477		Yes		7/24/25 15:21		RTK		32		1.08		0.57		0.91		8552		-1339		Yes		RTK		3D		0.8		2385		1.27		0.85		0.669		3.057				WME		Water Meter

		UP1011		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1011		7/24/25 15:23		3726'5.6808"N		796'39.6557"W		219.992		160958.21		0		UNKNOWN		18		32768		CLASSIC		PEAK WITH ARROWS		140		24.914		100		-2		5		13.74		-1.798		75.23		Yes		7/24/25 15:23		RTK		32		1.03		0.56		0.87		8488		-1339		Yes		RTK		3D		1.4		2385		0.672		0.551		0.512		1.738				WME		Water Meter

		UP1012		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1012		7/24/25 15:24		3726'4.0442"N		796'40.0300"W		168.746		161126.956		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.26		100		-33		8		14.904		-0.696		65.703		Yes		7/24/25 15:24		RTK		32		1.03		0.56		0.87		8415		-1339		Yes		RTK		3D		0.4		2385		0.759		0.512		0.512		1.83				WME		Water Meter

		UP1013		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1013		7/24/25 15:27		3726'7.8556"N		796'36.5969"W		475.388		161602.344		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.375		100		13		7		13.801		0.04		42.523		Yes		7/24/25 15:27		FLOAT RTK		32		1.06		0.57		0.9		8693		-1339		Yes		FLOAT RTK		3D		2		2385		14.724		11.043		2.323		36.811				WME		Water Meter

		UP1014		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1014		7/24/25 15:28		3726'7.7144"N		796'35.3767"W		99.331		161701.675		0		UNKNOWN		22		32768		CLASSIC		PEAK WITH ARROWS		140		73.582		100		2		1		14.307		0.946		67.21		Yes		7/24/25 15:28		RTK		32		1.08		0.56		0.93		8834		-1339		Yes		RTK		3D		2.2		2385		0.948		0.672		0.669		2.323				WME		Water Meter

		UP1015		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1015		7/24/25 15:28		3726'7.4994"N		796'34.1238"W		103.262		161804.937		0		UNKNOWN		19		32768		CLASSIC		PEAK WITH ARROWS		140		49.618		100		-3		5		10.129		1.592		67.269		Yes		7/24/25 15:28		RTK		32		1.03		0.55		0.87		8945		-1339		Yes		RTK		3D		1.2		2385		0.948		0.759		0.63		2.427				WME		Water Meter

		UP1016		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1016		7/24/25 15:28		3726'7.3330"N		796'33.2159"W		75.058		161879.995		0		UNKNOWN		307		32768		CLASSIC		PEAK WITH ARROWS		140		5.94		100		10		11		13.836		-0.543		48.211		Yes		7/24/25 15:29		RTK		32		1.03		0.55		0.87		8979		-1339		Yes		RTK		3D		1.2		2385		1.388		0.672		0.669		3.085				WME		Water Meter

		UP1017		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1017		7/24/25 15:29		3726'7.1985"N		796'31.9946"W		99.321		161979.316		0		UNKNOWN		4		32768		CLASSIC		PEAK WITH ARROWS		140		90.105		100		4		7		16.709		-0.172		86.661		Yes		7/24/25 15:29		RTK		32		1.13		0.57		0.97		9004		-1339		Yes		RTK		3D		1		2385		1.27		0.591		0.669		2.802				WME		Water Meter

		UP1018		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1018		7/24/25 15:30		3726'7.0232"N		796'30.4638"W		124.594		162103.91		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		7.36		100		14		9		11.849		-0.91		-2.656		Yes		7/24/25 15:30		RTK		32		1.03		0.55		0.87		9075		-1339		Yes		RTK		3D		1.6		2385		0.759		0.472		0.591		1.787				WME		Water Meter

		UP1019		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1019		7/24/25 15:30		3726'6.8767"N		796'29.3159"W		93.659		162197.569		0		UNKNOWN		34		32768		CLASSIC		PEAK WITH ARROWS		140		36.214		100		-4		5		13.276		-3.269		45.177		Yes		7/24/25 15:30		RTK		32		1.03		0.55		0.87		9150		-1339		Yes		RTK		3D		1.6		2385		0.591		0.472		0.472		1.513				WME		Water Meter

		UP1020		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1020		7/24/25 15:31		3726'6.6893"N		796'28.2441"W		88.408		162285.977		0		UNKNOWN		15		32768		CLASSIC		PEAK WITH ARROWS		140		34.386		100		7		8		11.028		0.758		43.962		Yes		7/24/25 15:31		RTK		31		1.03		0.55		0.87		9216		-1339		Yes		RTK		3D		1		2385		0.472		0.346		0.394		1.172				WME		Water Meter

		UP1021		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1021		7/24/25 15:31		3726'6.6502"N		796'26.9124"W		107.347		162393.324		0		UNKNOWN		68		32768		CLASSIC		PEAK WITH ARROWS		140		25.067		100		-28		13		14.896		-1.591		8.183		Yes		7/24/25 15:31		RTK		32		1.13		0.57		0.97		9232		-1339		Yes		RTK		3D		1.2		2385		0.512		0.433		0.394		1.341				WME		Water Meter

		UP1022		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1022		7/24/25 15:32		3726'6.8277"N		796'24.5178"W		193.736		162587.06		0		UNKNOWN		14		32768		CLASSIC		PEAK WITH ARROWS		140		69.308		100		1		8		14.729		-1.158		29.976		Yes		7/24/25 15:32		RTK		32		1.13		0.57		0.97		9235		-1339		Yes		RTK		3D		1.4		2385		0.672		0.472		0.551		1.643				WME		Water Meter

		UP1023		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1023		7/24/25 15:33		3726'7.0032"N		796'23.0912"W		116.296		162703.356		0		UNKNOWN		24		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		-5		2		10.808		0.682		-38.409		Yes		7/24/25 15:33		FLOAT RTK		32		1.13		0.57		0.97		9269		-1339		Yes		FLOAT RTK		3D		1.2		2385		8.098		6.626		1.26		20.927				WME		Water Meter

		UP1024		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1024		7/24/25 15:33		3726'7.3615"N		796'21.3497"W		144.916		162848.272		0		UNKNOWN		67		32768		CLASSIC		PEAK WITH ARROWS		140		12.002		100		-1		7		10.384		0.82		65.876		Yes		7/24/25 15:33		RTK		31		1.13		0.57		0.97		9348		-1339		Yes		RTK		3D		1.6		2385		1.512		1.05		0.748		3.681				WME		Water Meter

		UP1025		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1025		7/24/25 15:34		3726'7.7923"N		796'19.7144"W		138.797		162987.069		0		UNKNOWN		121		32768		CLASSIC		PEAK WITH ARROWS		140		30.375		100		5		5		17.938		1.237		50.221		Yes		7/24/25 15:34		RTK		30		1.14		0.57		0.98		9381		-1339		Yes		RTK		3D		1.4		2385		1.27		0.672		0.591		2.874				WME		Water Meter

		UP1026		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1026		7/24/25 15:34		3726'7.8064"N		796'19.6664"W		4.118		162991.187		0		UNKNOWN		19		32768		CLASSIC		PEAK WITH ARROWS		140		54.982		100		-4		7		13.714		0.191		-7.104		Yes		7/24/25 15:34		RTK		31		1.12		0.57		0.97		9379		-1339		Yes		RTK		3D		0.6		2385		2.058		1.913		0.787		5.62				WME		Water Meter

		UP1027		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1027		7/24/25 15:35		3726'8.2410"N		796'17.9377"W		146.068		163137.256		0		UNKNOWN		63		32768		CLASSIC		PEAK WITH ARROWS		140		31.854		100		-8		5		13.83		-1.669		51.572		Yes		7/24/25 15:35		RTK		32		1.12		0.57		0.97		9394		-1339		Yes		RTK		3D		2.4		2385		0.948		0.591		0.551		2.233				WME		Water Meter

		UP1028		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1028		7/24/25 15:35		3726'8.4823"N		796'17.0082"W		78.776		163216.032		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		4.571		100		34		9		9.679		0.552		-87.833		Yes		7/24/25 15:35		RTK		32		1.12		0.57		0.97		9381		-1339		Yes		RTK		3D		1.2		2385		0.759		0.472		0.472		1.787				WME		Water Meter

		UP1029		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1029		7/24/25 15:37		3726'8.4503"N		796'15.8373"W		94.377		163310.409		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.16		100		1		12		16.161		2.491		69.803		Yes		7/24/25 15:37		FLOAT RTK		32		1.12		0.56		0.97		9308		-1339		Yes		FLOAT RTK		3D		1.4		2385		6.074		4.969		0.906		15.695				WME		Water Meter

		UP1030		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1030		7/24/25 15:38		3726'8.0056"N		796'13.2731"W		211.434		163521.843		0		UNKNOWN		19		32768		CLASSIC		PEAK WITH ARROWS		140		14.526		100		-9		12		12.709		-1.348		-76.882		Yes		7/24/25 15:38		RTK		32		1.12		0.56		0.97		9274		-1339		Yes		RTK		3D		1.2		2385		0.759		0.39		0.472		1.706				WME		Water Meter

		UP1031		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1031		7/24/25 15:39		3726'8.0192"N		796'11.1929"W		167.574		163689.417		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		6.215		100		12		9		11.313		-2.054		-21.907		Yes		7/24/25 15:39		RTK		32		1.12		0.56		0.97		9456		-1339		Yes		RTK		3D		1.6		2385		1.27		0.759		0.551		2.959				WME		Water Meter

		UP1032		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1032		7/24/25 15:40		3726'7.3432"N		796'9.2874"W		168.125		163857.542		0		UNKNOWN		27		32768		CLASSIC		PEAK WITH ARROWS		140		11.282		100		0		9		14.357		-0.603		-58.859		Yes		7/24/25 15:40		RTK		31		1.12		0.56		0.97		9547		-1339		Yes		RTK		3D		0.4		2385		0.85		0.591		0.63		2.071				WME		Water Meter

		UP1033		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1033		7/24/25 15:41		3726'6.9934"N		796'7.5405"W		145.127		164002.669		0		UNKNOWN		27		32768		CLASSIC		PEAK WITH ARROWS		140		5.136		100		-3		6		9.225		8.004		-68.55		Yes		7/24/25 15:41		RTK		32		1.12		0.56		0.96		9634		-1339		Yes		RTK		3D		1		2385		0.85		0.591		0.472		2.071				WME		Water Meter

		UP1034		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1034		7/24/25 15:43		3726'7.0195"N		796'7.4004"W		11.593		164014.262		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.278		100		3		11		15.164		-2.054		88.902		Yes		7/24/25 15:43		FLOAT RTK		32		1.11		0.56		0.96		9638		-1339		Yes		FLOAT RTK		3D		1.2		2385		3.865		2.761		0.551		9.5				WME		Water Meter

		UP1035		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1035		7/24/25 15:43		3726'6.7031"N		796'5.7088"W		139.994		164154.256		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.327		100		-1		12		12.198		-2.89		-81.325		Yes		7/24/25 15:43		RTK		32		1.11		0.56		0.96		9684		-1339		Yes		RTK		3D		1.4		2385		1.388		0.759		0.63		3.164				WME		Water Meter

		UP1036		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1036		7/24/25 15:45		3726'6.3763"N		796'4.0080"W		140.972		164295.228		0		UNKNOWN		18		32768		CLASSIC		PEAK WITH ARROWS		140		36.695		100		2		5		13.131		-2.704		-12.511		Yes		7/24/25 15:45		RTK		32		1.11		0.55		0.96		9563		-1339		Yes		RTK		3D		0.8		2385		0.759		0.512		0.433		1.83				WME		Water Meter

		UP1037		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1037		7/24/25 15:46		3726'6.3522"N		796'3.8091"W		16.202		164311.43		0		UNKNOWN		2		32768		CLASSIC		PEAK WITH ARROWS		140		5.74		100		-3		12		14.214		-2.206		26.812		Yes		7/24/25 15:46		RTK		32		1.27		0.61		1.11		9566		-1339		Yes		RTK		3D		1.2		2385		1.64		1.05		0.866		3.895				WME		Water Meter

		UP1038		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1038		7/24/25 15:47		3726'6.0060"N		796'1.5029"W		189.073		164500.504		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.07		100		-9		5		13.665		-0.472		-81.918		Yes		7/24/25 15:47		RTK		32		1.17		0.6		1.01		9565		-1339		Yes		RTK		3D		1.8		2385		0.948		0.472		0.433		2.118				WME		Water Meter

		UP1039		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1039		7/24/25 16:16		3726'16.8863"N		796'7.1793"W		1194.778		165695.281		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.276		100		-10		8		7.607		0.763		-41.623		Yes		7/24/25 16:16		FLOAT RTK		31		1.38		0.66		1.21		9641		-1339		Yes		FLOAT RTK		3D		1.4		2385		13.252		10.307		2.638		33.577				WME		Water Meter

		UP1040		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1040		7/24/25 16:16		3726'16.8017"N		796'7.0027"W		16.61		165711.891		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.937		100		4		8		10.585		1.611		-49.016		Yes		7/24/25 16:16		FLOAT RTK		30		1.35		0.66		1.18		9636		-1339		Yes		FLOAT RTK		3D		1.2		2385		13.252		11.227		2.835		34.737				WME		Water Meter

		UP1041		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1041		7/24/25 16:16		3726'16.6891"N		796'6.7714"W		21.859		165733.75		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		5.51		100		2		9		5.335		-0.227		-88.335		Yes		7/24/25 16:16		FLOAT RTK		31		1.29		0.65		1.12		9626		-1339		Yes		FLOAT RTK		3D		1.6		2385		18.406		17.669		3.661		51.028				WME		Water Meter

		UP1042		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1042		7/24/25 16:16		3726'16.6008"N		796'6.6010"W		16.389		165750.139		0		UNKNOWN		18		32768		CLASSIC		PEAK WITH ARROWS		140		20.743		100		-2		5		7.042		-2.13		30.627		Yes		7/24/25 16:16		RTK		31		1.34		0.65		1.17		9637		-1339		Yes		RTK		3D		1		2385		0.672		0.433		0.591		1.599				WME		Water Meter

		UP1043		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1043		7/24/25 16:17		3726'16.4946"N		796'6.3662"W		21.77		165771.91		0		UNKNOWN		36		32768		CLASSIC		PEAK WITH ARROWS		140		5.892		100		-10		9		6.679		-4.241		4.996		Yes		7/24/25 16:17		FLOAT RTK		31		1.27		0.63		1.1		9635		-1339		Yes		FLOAT RTK		3D		0.8		2385		3.681		3.129		0.748		9.662				WME		Water Meter

		UP1044		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1044		7/24/25 16:17		3726'16.4114"N		796'6.1941"W		16.228		165788.138		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		4.047		100		5		6		10.747		2.291		77.683		Yes		7/24/25 16:17		FLOAT RTK		31		1.27		0.63		1.1		9632		-1339		Yes		FLOAT RTK		3D		0.6		2385		4.969		3.865		0.827		12.591				WME		Water Meter

		UP1045		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1045		7/24/25 16:17		3726'16.3023"N		796'5.9560"W		22.15		165810.287		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.798		100		2		12		9.552		4.192		19.549		Yes		7/24/25 16:17		FLOAT RTK		31		1.36		0.65		1.19		9617		-1339		Yes		FLOAT RTK		3D		0.8		2385		14.908		11.411		2.598		37.549				WME		Water Meter

		UP1046		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1046		7/24/25 16:17		3726'16.2378"N		796'5.7647"W		16.739		165827.027		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.593		100		-3		7		9.883		2.889		74.607		Yes		7/24/25 16:17		FLOAT RTK		31		1.36		0.65		1.19		9609		-1339		Yes		FLOAT RTK		3D		1.2		2385		10.307		9.203		2.205		27.635				WME		Water Meter

		UP1047		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1047		7/24/25 16:17		3726'16.1233"N		796'5.5342"W		21.898		165848.924		0		UNKNOWN		7		32768		CLASSIC		PEAK WITH ARROWS		140		15.207		100		-15		11		9.631		-0.189		54.121		Yes		7/24/25 16:17		FLOAT RTK		30		1.2		0.62		1.03		9601		-1339		Yes		FLOAT RTK		3D		1.2		2385		3.313		2.393		0.591		8.173				WME		Water Meter

		UP1048		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1048		7/24/25 16:17		3726'16.0347"N		796'5.3590"W		16.735		165865.66		0		UNKNOWN		3		32768		CLASSIC		PEAK WITH ARROWS		140		20.422		100		1		11		10.084		-4.892		55.852		Yes		7/24/25 16:17		FLOAT RTK		32		1.32		0.65		1.15		9605		-1339		Yes		FLOAT RTK		3D		1.2		2385		13.804		11.595		2.244		36.056				WME		Water Meter

		UP1049		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1049		7/24/25 16:18		3726'14.5821"N		796'6.4032"W		169.691		166035.35		0		UNKNOWN		848		32768		CLASSIC		PEAK WITH ARROWS		140		3.024		100		1		11		13.31		0.386		-27.888		Yes		7/24/25 16:18		RTK		32		1.32		0.66		1.14		9693		-1339		Yes		RTK		3D		1		2385		1.913		0.551		0.551		3.982				WME		Water Meter

		UP1050		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1050		7/24/25 16:19		3726'14.7073"N		796'6.6446"W		23.23		166058.58		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.608		100		0		12		10.357		3.836		-1.527		Yes		7/24/25 16:19		RTK		31		1.28		0.65		1.11		9689		-1339		Yes		RTK		3D		1.2		2385		1.64		0.512		0.512		3.437				WME		Water Meter

		UP1051		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1051		7/24/25 16:19		3726'14.7701"N		796'6.8026"W		14.231		166072.811		0		UNKNOWN		6		32768		CLASSIC		PEAK WITH ARROWS		140		20.966		100		-5		8		11.464		-1.616		-15.781		Yes		7/24/25 16:19		FLOAT RTK		30		1.28		0.65		1.11		9704		-1339		Yes		FLOAT RTK		3D		1.4		2385		20.246		10.491		2.087		45.606				WME		Water Meter

		UP1052		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1052		7/24/25 16:19		3726'14.9143"N		796'7.1064"W		28.511		166101.322		0		UNKNOWN		1		32768		CLASSIC		PEAK WITH ARROWS		140		12.037		100		-2		7		13.061		0.327		-71.415		Yes		7/24/25 16:19		FLOAT RTK		30		1.28		0.65		1.1		9704		-1339		Yes		FLOAT RTK		3D		1		2385		20.246		10.123		1.89		45.272				WME		Water Meter

		UP1053		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1053		7/24/25 16:19		3726'14.9724"N		796'7.2092"W		10.165		166111.488		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		9.071		100		-17		7		12.971		1.467		7.73		Yes		7/24/25 16:19		FLOAT RTK		30		1.28		0.65		1.1		9686		-1339		Yes		FLOAT RTK		3D		1		2385		33.13		15.093		3.268		72.811				WME		Water Meter

		UP1054		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1054		7/24/25 16:19		3726'15.1387"N		796'7.5518"W		32.345		166143.833		0		UNKNOWN		1288		32768		CLASSIC		PEAK WITH ARROWS		140		17.755		100		1		12		14.385		0.349		-66.01		Yes		7/24/25 16:19		FLOAT RTK		30		1.28		0.65		1.1		9660		-1339		Yes		FLOAT RTK		3D		0.8		2385		386.516		257.677		25.197		929.068				WME		Water Meter

		UP1055		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1055		7/24/25 16:20		3726'15.1529"N		796'7.6106"W		4.95		166148.783		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		2.602		100		-1		7		11.566		-2.268		-6.93		Yes		7/24/25 16:20		FLOAT RTK		30		1.2		0.62		1.03		9691		-1339		Yes		FLOAT RTK		3D		1.6		2385		22.087		7.914		1.693		46.924				WME		Water Meter

		UP1056		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1056		7/24/25 16:20		3726'15.2862"N		796'7.8965"W		26.706		166175.489		0		UNKNOWN		48		32768		CLASSIC		PEAK WITH ARROWS		140		5.738		100		-1		10		10.3		1.943		-22.828		Yes		7/24/25 16:20		RTK		30		1.28		0.65		1.1		9694		-1339		Yes		RTK		3D		1.4		2385		9.766		1.388		1.102		19.729				WME		Water Meter

		UP1057		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1057		7/24/25 16:20		3726'15.3462"N		796'8.0061"W		10.725		166186.214		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		2.006		100		6		12		12.544		0.003		-84.451		Yes		7/24/25 16:20		FLOAT RTK		30		1.31		0.66		1.13		9675		-1339		Yes		FLOAT RTK		3D		1		2385		22.087		12.884		2.008		51.14				WME		Water Meter

		UP1058		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1058		7/24/25 16:20		3726'15.4712"N		796'8.2841"W		25.737		166211.95		0		UNKNOWN		97		32768		CLASSIC		PEAK WITH ARROWS		140		5.052		100		0		9		12.471		2.831		-34.49		Yes		7/24/25 16:20		FLOAT RTK		29		1.28		0.65		1.1		9685		-1339		Yes		FLOAT RTK		3D		1.4		2385		12.332		6.258		1.457		27.657				WME		Water Meter

		UP1059		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1059		7/24/25 16:36		3726'10.8243"N		796'7.0303"W		482.132		166694.082		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.457		100		0		9		8.863		-1.439		84.136		Yes		7/24/25 16:36		RTK		31		1.2		0.58		1.06		9535		-1339		Yes		RTK		3D		1		2418		0.759		0.472		0.591		1.787				WME		Water Meter

		UP1060		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1060		7/24/25 16:36		3726'10.6225"N		796'5.8075"W		100.613		166794.695		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		4.507		100		17		2		6.066		-0.922		-70.365		Yes		7/24/25 16:36		RTK		29		1.25		0.61		1.09		9623		-1339		Yes		RTK		3D		1.2		2418		0.85		0.512		0.551		1.985				WME		Water Meter

		UP1061		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1061		7/24/25 16:38		3726'10.3995"N		796'4.5324"W		105.173		166899.868		0		UNKNOWN		21		32768		CLASSIC		PEAK WITH ARROWS		140		95.099		100		5		2		10.65		-0.577		-83.673		Yes		7/24/25 16:38		RTK		32		1.21		0.6		1.05		9717		-1339		Yes		RTK		3D		0.6		2418		1.27		0.591		0.669		2.802				WME		Water Meter

		UP1062		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1062		7/24/25 16:39		3726'10.2820"N		796'3.7795"W		61.81		166961.678		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.236		100		-4		2		12.44		0.754		88.844		Yes		7/24/25 16:39		RTK		32		1.21		0.59		1.05		9763		-1339		Yes		RTK		3D		1.4		2418		2.362		1.27		1.024		5.364				WME		Water Meter

		UP1063		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1063		7/24/25 16:39		3726'9.9902"N		796'2.4651"W		109.946		167071.624		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.742		100		14		9		10.818		-2.833		-9.085		Yes		7/24/25 16:39		FLOAT RTK		31		1.18		0.58		1.03		9842		-1339		Yes		FLOAT RTK		3D		1.4		2418		4.601		3.681		0.748		11.785				WME		Water Meter

		UP1064		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1064		7/24/25 16:40		3726'9.8428"N		796'1.0151"W		117.753		167189.378		0		UNKNOWN		2824		32768		CLASSIC		PEAK WITH ARROWS		140		2.611		100		26		12		11.622		-2.181		-74.26		Yes		7/24/25 16:40		RTK		32		1.18		0.58		1.03		9912		-1339		Yes		RTK		3D		1.6		2418		0.672		0.472		0.512		1.643				WME		Water Meter

		UP1065		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1065		7/24/25 16:41		3726'9.6194"N		795'59.9645"W		87.612		167276.989		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		13.542		100		-12		6		11.071		-4.021		-67.98		Yes		7/24/25 16:41		RTK		32		1.18		0.58		1.02		9960		-1339		Yes		RTK		3D		1.6		2418		0.85		0.472		0.551		1.946				WME		Water Meter

		UP1066		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1066		7/24/25 16:41		3726'9.4504"N		795'58.6106"W		110.408		167387.397		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		2.61		100		1		11		9.066		0.007		-58.594		Yes		7/24/25 16:41		RTK		32		1.17		0.58		1.02		9960		-1339		Yes		RTK		3D		0.6		2418		1.157		0.551		0.63		2.564				WME		Water Meter

		UP1067		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1067		7/24/25 16:42		3726'9.1815"N		795'57.4890"W		94.376		167481.773		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		2.874		100		-1		12		7.871		0.5		85.293		Yes		7/24/25 16:42		RTK		32		1.17		0.59		1.01		9983		-1339		Yes		RTK		3D		1.4		2418		0.759		0.433		0.472		1.747				WME		Water Meter

		UP1068		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1068		7/24/25 16:42		3726'8.8444"N		795'56.0563"W		120.374		167602.147		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		4.151		100		-1		10		13.395		-3.935		43.842		Yes		7/24/25 16:42		RTK		32		1.21		0.58		1.06		10002		-1339		Yes		RTK		3D		0.6		2418		1.774		1.05		0.827		4.123				WME		Water Meter

		UP1069		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1069		7/24/25 16:43		3726'9.3346"N		795'55.4286"W		70.916		167673.063		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		24.754		100		-4		11		13.415		-3.023		-60.025		Yes		7/24/25 16:43		RTK		32		1.25		0.62		1.08		9958		-1339		Yes		RTK		3D		1.4		2418		0.948		0.433		0.512		2.084				WME		Water Meter

		UP1070		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1070		7/24/25 16:43		3726'9.7838"N		795'57.2523"W		153.809		167826.871		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.743		100		-8		9		11.448		-2.191		87.741		Yes		7/24/25 16:43		RTK		32		1.11		0.55		0.96		9958		-1339		Yes		RTK		3D		1.4		2418		2.688		1.157		1.063		5.853				WME		Water Meter

		UP1071		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1071		7/24/25 16:46		3726'9.9381"N		795'58.4308"W		96.22		167923.091		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.158		100		-3		13		13.244		-1.429		47.112		Yes		7/24/25 16:46		RTK		32		1.19		0.58		1.04		9939		-1339		Yes		RTK		3D		0.6		2418		1.64		0.672		0.827		3.545				WME		Water Meter

		UP1072		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1072		7/24/25 16:46		3726'9.9217"N		795'58.4046"W		2.69		167925.781		0		UNKNOWN		2149		32768		CLASSIC		PEAK WITH ARROWS		140		3.231		100		5		13		14.631		-0.49		84.405		Yes		7/24/25 16:46		RTK		32		1.05		0.52		0.91		9942		-1339		Yes		RTK		3D		1.2		2418		1.157		0.591		0.669		2.599				WME		Water Meter

		UP1073		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1073		7/24/25 16:47		3726'10.0671"N		795'58.9630"W		47.34		167973.12		0		UNKNOWN		69		32768		CLASSIC		PEAK WITH ARROWS		140		18.751		100		-1		7		15.087		-0.726		23.19		Yes		7/24/25 16:47		RTK		32		1.23		0.6		1.07		9945		-1339		Yes		RTK		3D		0.8		2418		0.85		0.472		0.551		1.946				WME		Water Meter

		UP1074		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1074		7/24/25 16:47		3726'10.3354"N		796'0.4494"W		122.789		168095.909		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		8.647		100		-17		10		9.116		-0.442		82.489		Yes		7/24/25 16:47		RTK		32		1.18		0.58		1.03		9925		-1339		Yes		RTK		3D		1.4		2418		0.759		0.386		0.472		1.702				WME		Water Meter

		UP1075		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1075		7/24/25 16:48		3726'10.4875"N		796'1.3997"W		78.089		168173.998		0		UNKNOWN		208		32768		CLASSIC		PEAK WITH ARROWS		140		35.67		100		-2		4		8.164		1.777		82.585		Yes		7/24/25 16:48		RTK		32		1.07		0.54		0.93		9872		-1339		Yes		RTK		3D		1.2		2418		0.591		0.37		0.433		1.394				WME		Water Meter

		UP1076		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1076		7/24/25 16:48		3726'10.6642"N		796'2.4544"W		86.833		168260.831		0		UNKNOWN		35		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		9		4		13.994		-1.074		-67.99		Yes		7/24/25 16:48		RTK		32		1		0.52		0.85		9832		-1339		Yes		RTK		3D		1.6		2418		0.759		0.433		0.551		1.747				WME		Water Meter

		UP1077		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1077		7/24/25 16:49		3726'10.9723"N		796'4.1197"W		137.743		168398.574		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.064		100		-3		13		11.964		-2.862		-85.132		Yes		7/24/25 16:49		RTK		32		1.07		0.53		0.92		9746		-1339		Yes		RTK		3D		1.2		2418		0.512		0.315		0.394		1.202				WME		Water Meter

		UP1078		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1078		7/24/25 16:49		3726'11.1474"N		796'5.1496"W		84.848		168483.422		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.699		100		1		11		7.785		-2.451		-13.165		Yes		7/24/25 16:49		RTK		32		1.05		0.52		0.91		9675		-1339		Yes		RTK		3D		1.6		2418		0.759		0.382		0.472		1.698				WME		Water Meter

		UP1079		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1079		7/24/25 16:50		3726'11.4163"N		796'6.8303"W		138.105		168621.527		0		UNKNOWN		31		32768		CLASSIC		PEAK WITH ARROWS		140		3.647		100		0		12		13.595		-2.44		-79.391		Yes		7/24/25 16:50		RTK		32		1.05		0.52		0.91		9523		-1339		Yes		RTK		3D		0.8		2418		0.551		0.35		0.433		1.306				WME		Water Meter

		UP1080		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1080		7/24/25 16:52		3726'11.7302"N		796'8.6085"W		146.737		168768.265		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		9.225		100		3		11		14.229		-3.962		-75.498		Yes		7/24/25 16:52		RTK		32		1.04		0.52		0.9		9452		-1339		Yes		RTK		3D		1.2		2418		0.591		0.394		0.472		1.42				WME		Water Meter

		UP1081		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1081		7/24/25 16:55		3726'12.0094"N		796'9.9155"W		109.027		168877.291		0		UNKNOWN		152		32768		CLASSIC		PEAK WITH ARROWS		140		8.524		100		3		12		11.498		-5.415		-57.395		Yes		7/24/25 16:55		RTK		32		1.23		0.64		1.05		9451		-1339		Yes		RTK		3D		1.4		2418		0.85		0.433		0.551		1.909				WME		Water Meter

		UP1082		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1082		7/24/25 17:02		3726'12.6193"N		796'13.8968"W		326.624		169203.915		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.67		100		24		11		13.84		-2.445		-59.382		Yes		7/24/25 17:02		RTK		32		1.14		0.58		0.98		9536		-1339		Yes		RTK		3D		1.4		2418		0.948		0.433		0.512		2.084				WME		Water Meter

		UP1083		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1083		7/24/25 17:02		3726'12.8641"N		796'14.9634"W		89.44		169293.355		0		UNKNOWN		324		32768		CLASSIC		PEAK WITH ARROWS		140		5.423		100		90		11		8.762		-1.732		60.108		Yes		7/24/25 17:02		RTK		32		1.14		0.58		0.98		9509		-1339		Yes		RTK		3D		0.8		2418		1.774		0.551		0.63		3.716				WME		Water Meter

		UP1084		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1084		7/24/25 17:04		3726'13.1508"N		796'16.5093"W		127.881		169421.236		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.061		100		6		4		8.913		-1.681		-56.95		Yes		7/24/25 17:04		RTK		32		1.14		0.59		0.97		9426		-1339		Yes		RTK		3D		1		2418		0.948		0.472		0.512		2.118				WME		Water Meter

		UP1085		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1085		7/24/25 17:04		3726'12.9972"N		796'17.6230"W		91.054		169512.29		0		UNKNOWN		29		32768		CLASSIC		PEAK WITH ARROWS		140		26.157		100		-3		4		14.904		-2.288		-11.785		Yes		7/24/25 17:04		RTK		32		1.13		0.58		0.97		9310		-1339		Yes		RTK		3D		0.6		2418		0.948		0.472		0.551		2.118				WME		Water Meter

		UP1086		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1086		7/24/25 17:05		3726'12.7049"N		796'18.7538"W		95.797		169608.087		0		UNKNOWN		82		32768		CLASSIC		PEAK WITH ARROWS		140		4.881		100		21		7		11.664		-2.1		-49.476		Yes		7/24/25 17:05		RTK		32		1.21		0.59		1.05		9184		-1339		Yes		RTK		3D		1		2418		0.672		0.512		0.591		1.689				WME		Water Meter

		UP1087		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1087		7/24/25 17:05		3726'12.5426"N		796'19.3072"W		47.519		169655.606		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		2.41		100		7		10		9.408		-0.533		-89.736		Yes		7/24/25 17:05		RTK		32		1.23		0.63		1.05		9106		-1339		Yes		RTK		3D		1.6		2418		0.759		0.394		0.472		1.709				WME		Water Meter

		UP1088		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1088		7/24/25 17:06		3726'12.1905"N		796'20.6230"W		111.858		169767.464		0		UNKNOWN		12		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		-3		5		8.834		-2.743		33.369		Yes		7/24/25 17:06		RTK		32		1.19		0.61		1.02		9018		-1339		Yes		RTK		3D		0.6		2418		0.551		0.394		0.512		1.355				WME		Water Meter

		UP1089		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1089		7/24/25 17:07		3726'13.2469"N		796'22.8775"W		210.869		169978.334		0		UNKNOWN		28		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		-10		13		10.914		-1.224		-54.013		Yes		7/24/25 17:07		RTK		32		1.21		0.61		1.05		9005		-1339		Yes		RTK		3D		1.6		2418		2.058		0.591		0.787		4.282				WME		Water Meter

		UP1090		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1090		7/24/25 17:08		3726'13.9260"N		796'23.1445"W		72.176		170050.509		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.354		100		30		10		12.638		-1.731		-61.56		Yes		7/24/25 17:08		RTK		31		1.2		0.6		1.04		8997		-1339		Yes		RTK		3D		0.8		2418		0.948		0.472		0.591		2.118				WME		Water Meter

		UP1091		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1091		7/24/25 17:09		3726'15.0787"N		796'23.5437"W		121.287		170171.796		0.001		UNKNOWN		9780		32768		CLASSIC		PEAK WITH ARROWS		140		6.049		100		-31		10		10.624		1.063		-34.377		Yes		7/24/25 17:09		RTK		32		1.12		0.58		0.96		8923		-1339		Yes		RTK		3D		1.2		2418		1.913		0.551		0.748		3.982				WME		Water Meter

		UP1092		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1092		7/24/25 17:12		3726'17.5832"N		796'17.9222"W		519.246		170691.043		0		UNKNOWN		546		32768		CLASSIC		PEAK WITH ARROWS		140		7.447		100		50		10		12.644		-3.593		-17.801		Yes		7/24/25 17:12		FLOAT RTK		31		1.15		0.6		0.98		8821		-1339		Yes		FLOAT RTK		3D		1.4		2418		18.406		14.908		3.031		47.372				WME		Water Meter

		UP1093		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1093		7/24/25 17:12		3726'17.0613"N		796'17.2987"W		72.979		170764.021		0		UNKNOWN		141		32768		CLASSIC		PEAK WITH ARROWS		140		8.129		100		-61		7		17.634		-1.527		-42.916		Yes		7/24/25 17:12		RTK		30		1.19		0.6		1.03		8948		-1339		Yes		RTK		3D		1.2		2418		0.948		0.339		0.472		2.012				WME		Water Meter

		UP1094		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1094		7/24/25 17:13		3726'16.8505"N		796'17.7797"W		44.257		170808.278		0		UNKNOWN		24		32768		CLASSIC		PEAK WITH ARROWS		140		14.932		100		-2		13		9.351		-3.014		-14.399		Yes		7/24/25 17:13		FLOAT RTK		30		1.34		0.64		1.18		8909		-1339		Yes		FLOAT RTK		3D		1.6		2418		16.013		9.203		2.638		36.938				WME		Water Meter

		UP1095		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1095		7/24/25 17:17		3726'14.5123"N		796'22.4838"W		447.056		171255.334		0		UNKNOWN		75		32768		CLASSIC		PEAK WITH ARROWS		140		29.246		100		-9		11		11.078		1.072		-68.993		Yes		7/24/25 17:17		RTK		32		1.17		0.57		1.02		9066		-1339		Yes		RTK		3D		1.4		2418		1.05		0.512		0.512		2.336				WME		Water Meter

		UP1096		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1096		7/24/25 17:18		3726'11.4572"N		796'21.1854"W		327.111		171582.445		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		2.621		100		-78		4		13.413		-2.441		2.087		Yes		7/24/25 17:18		RTK		30		1.17		0.57		1.02		8919		-1339		Yes		RTK		3D		1.8		2418		0.672		0.591		0.512		1.789				WME		Water Meter

		UP1097		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1097		7/24/25 17:21		3726'11.6486"N		796'20.4235"W		64.374		171646.819		0		UNKNOWN		15		32768		CLASSIC		PEAK WITH ARROWS		140		14.235		100		-4		13		12.805		-1.867		83.198		Yes		7/24/25 17:21		RTK		30		1.18		0.58		1.02		8968		-1339		Yes		RTK		3D		1.4		2418		0.85		0.512		0.512		1.985				WME		Water Meter

		UP1098		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1098		7/24/25 17:22		3726'12.4316"N		796'17.5175"W		247.203		171894.023		0		UNKNOWN		10		32768		CLASSIC		PEAK WITH ARROWS		140		35.003		100		-4		8		33.871		0.206		-17.787		Yes		7/24/25 17:22		RTK		30		1.17		0.58		1.02		9319		-1339		Yes		RTK		3D		0.6		2418		1.388		0.512		0.591		2.96				WME		Water Meter

		UP1099		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1099		7/24/25 17:23		3726'12.3160"N		796'15.5686"W		157.426		172051.449		0		UNKNOWN		43		32768		CLASSIC		PEAK WITH ARROWS		140		99.373		100		5		3		11.974		-3.72		-50.236		Yes		7/24/25 17:23		RTK		32		1.17		0.59		1.02		9494		-1339		Yes		RTK		3D		1.4		2418		1.388		0.672		0.591		3.085				WME		Water Meter

		UP1100		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1100		7/24/25 17:24		3726'12.1056"N		796'14.3374"W		101.451		172152.9		0		UNKNOWN		189		32768		CLASSIC		PEAK WITH ARROWS		140		4.992		100		42		6		13.418		-1.017		-3.974		Yes		7/24/25 17:24		RTK		32		1.17		0.59		1.01		9526		-1339		Yes		RTK		3D		1.2		2418		0.85		0.551		0.512		2.027				WME		Water Meter

		UP1101		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1101		7/24/25 17:24		3726'11.8538"N		796'12.7606"W		129.557		172282.457		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.232		100		1		11		12.012		-2.255		-0.354		Yes		7/24/25 17:24		RTK		32		1.15		0.58		1		9508		-1339		Yes		RTK		3D		1.4		2418		1.388		0.591		0.63		3.018				WME		Water Meter

		UP1102		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1102		7/24/25 17:26		3726'10.5198"N		796'10.6472"W		217.491		172499.948		0		UNKNOWN		43		32768		CLASSIC		PEAK WITH ARROWS		140		31.086		100		43		7		14.844		-0.256		64.098		Yes		7/24/25 17:26		RTK		32		1.11		0.57		0.95		9358		-1339		Yes		RTK		3D		0.8		2418		0.85		0.551		0.551		2.027				WME		Water Meter

		UP1103		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1103		7/24/25 17:29		3726'11.1045"N		796'8.3608"W		193.491		172693.438		0		UNKNOWN		116		32768		CLASSIC		PEAK WITH ARROWS		140		8.933		100		-3		5		8.664		-2.372		56.091		Yes		7/24/25 17:29		RTK		32		1.07		0.56		0.91		9461		-1339		Yes		RTK		3D		1		2418		0.591		0.472		0.433		1.513				WME		Water Meter

		UP1104		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1104		7/24/25 17:46		3726'20.5091"N		796'13.6172"W		1043.838		173737.276		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.019		100		-3		10		10.788		0.277		61.683		Yes		7/24/25 17:46		GPS SPS VALID		30		0.98		0.51		0.83		9433		-1339		Yes		AUTONOMOUS		3D		0		0		125.591		95.276		86.614		315.28				WME		Water Meter

		UP1105		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1105		7/24/25 17:46		3726'20.4997"N		796'13.6448"W		2.423		173739.699		0		UNKNOWN		67		32768		CLASSIC		PEAK WITH ARROWS		140		12.348		100		2		6		14.138		-1.165		67.205		Yes		7/24/25 17:46		GPS SPS VALID		32		0.92		0.48		0.79		9267		-1339		Yes		AUTONOMOUS		3D		0		0		86.614		69.291		59.055		221.841				WME		Water Meter

		UP1106		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1106		7/24/25 17:46		3726'20.4962"N		796'13.6521"W		0.682		173740.382		0		UNKNOWN		20		32768		CLASSIC		PEAK WITH ARROWS		140		20.828		100		-1		5		11.963		6.236		39.768		Yes		7/24/25 17:46		GPS SPS VALID		30		0.92		0.48		0.79		9172		-1339		Yes		AUTONOMOUS		3D		0		0		69.291		56.299		47.244		178.56				WME		Water Meter

		UP1107		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1107		7/24/25 17:47		3726'20.4927"N		796'13.6225"W		2.403		173742.785		0		UNKNOWN		42		32768		CLASSIC		PEAK WITH ARROWS		140		8.953		100		9		7		30.128		15.617		-69.583		Yes		7/24/25 17:47		DGPS SPS VALID		32		1.08		0.57		0.91		9080		-1339		Yes		DIFFERENTIAL		3D		1.6		2437		60.591		44.646		34.646		150.525				WME		Water Meter

		UP1108		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1108		7/24/25 17:47		3726'20.5757"N		796'13.6401"W		8.539		173751.324		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.22		100		-10		9		29.342		26.222		73.639		Yes		7/24/25 17:47		GPS SPS VALID		31		0.94		0.47		0.81		9398		-1339		Yes		AUTONOMOUS		3D		0		0		181.89		134.252		129.921		452.139				WME		Water Meter

		UP1109		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1109		7/24/25 17:47		3726'20.4819"N		796'13.6644"W		9.715		173761.04		0		UNKNOWN		28		32768		CLASSIC		PEAK WITH ARROWS		140		5.844		100		2		7		38.377		24.999		56.704		Yes		7/24/25 17:47		GPS SPS VALID		32		0.9		0.46		0.77		9211		-1339		Yes		AUTONOMOUS		3D		0		0		82.283		64.961		62.992		209.671				WME		Water Meter

		UP1110		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1110		7/24/25 17:47		3726'20.5064"N		796'13.6707"W		2.534		173763.574		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.188		100		-18		12		-2.086		1.248		89.364		Yes		7/24/25 17:47		GPS SPS VALID		32		0.9		0.45		0.78		9082		-1339		Yes		AUTONOMOUS		3D		0		0		64.961		51.969		47.244		166.38				WME		Water Meter

		UP1111		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1111		7/24/25 17:47		3726'20.5342"N		796'13.6674"W		2.837		173766.41		0		UNKNOWN		65		32768		CLASSIC		PEAK WITH ARROWS		140		38.326		100		-11		8		13.555		1.918		48.806		Yes		7/24/25 17:47		GPS SPS VALID		32		0.94		0.46		0.81		8976		-1339		Yes		AUTONOMOUS		3D		0		0		41.142		30.748		28.74		102.725				WME		Water Meter

		UP1112		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1112		7/24/25 17:48		3726'20.5457"N		796'13.6191"W		4.059		173770.469		0		UNKNOWN		111		32768		CLASSIC		PEAK WITH ARROWS		140		17.98		100		1		6		57.332		6.528		-2.866		Yes		7/24/25 17:48		GPS SPS VALID		32		0.94		0.46		0.81		8988		-1339		Yes		AUTONOMOUS		3D		0		0		35.945		27.283		24.803		90.253				WME		Water Meter

		UP1113		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1113		7/24/25 17:48		3726'20.4825"N		796'13.6160"W		6.412		173776.88		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		5.511		100		10		4		62.607		11.392		-2.626		Yes		7/24/25 17:48		RTK		32		1.07		0.55		0.92		9151		-1339		Yes		RTK		3D		1.8		2438		0.551		0.382		0.394		1.341				WME		Water Meter

		UP1114		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1114		7/24/25 17:48		3726'20.4777"N		796'13.6200"W		0.588		173777.468		0		UNKNOWN		10		32768		CLASSIC		PEAK WITH ARROWS		140		20.734		100		35		7		18.275		-7.768		-89.169		Yes		7/24/25 17:48		RTK		32		1.07		0.55		0.92		9138		-1339		Yes		RTK		3D		2.2		2438		0.433		0.28		0.394		1.031				WME		Water Meter

		UP1115		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1115		7/24/25 17:48		3726'21.0791"N		796'14.1280"W		73.466		173850.935		0		UNKNOWN		14		32768		CLASSIC		PEAK WITH ARROWS		140		56.621		100		1		7		13.681		-1.999		-10.636		Yes		7/24/25 17:48		RTK		32		1.07		0.55		0.92		9056		-1339		Yes		RTK		3D		0.6		2438		0.472		0.374		0.394		1.205				WME		Water Meter

		UP1116		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1116		7/24/25 17:50		3726'21.2219"N		796'16.3947"W		183.158		174034.093		0		UNKNOWN		20		32768		CLASSIC		PEAK WITH ARROWS		140		63.284		100		4		5		11.237		1.992		76.37		Yes		7/24/25 17:50		RTK		31		1.1		0.58		0.94		8901		-1339		Yes		RTK		3D		1		2438		0.85		0.512		0.472		1.985				WME		Water Meter

		UP1117		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1117		7/24/25 17:52		3726'24.3874"N		796'14.4584"W		357.015		174391.109		0		UNKNOWN		136		32768		CLASSIC		PEAK WITH ARROWS		140		6.485		100		3		8		13.024		-1.022		-13.759		Yes		7/24/25 17:52		RTK		31		1.07		0.55		0.91		8785		-1339		Yes		RTK		3D		1.4		2438		0.948		0.366		0.394		2.032				WME		Water Meter

		UP1118		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1118		7/24/25 18:00		3726'24.8465"N		796'12.0825"W		196.962		174588.07		0		UNKNOWN		57		32768		CLASSIC		PEAK WITH ARROWS		140		22.694		100		-69		8		9.519		-0.214		41.948		Yes		7/24/25 18:01		RTK		32		1.01		0.51		0.87		8676		-1339		Yes		RTK		3D		1		2438		0.433		0.283		0.394		1.035				WME		Water Meter

		UP1119		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1119		7/24/25 18:02		3726'24.7214"N		796'12.4343"W		31.052		174619.122		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.751		100		7		9		13.735		-1.433		-65.127		Yes		7/24/25 18:02		RTK		32		1.01		0.51		0.87		8692		-1339		Yes		RTK		3D		0.6		2438		0.672		0.394		0.394		1.558				WME		Water Meter

		UP1120		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1120		7/24/25 18:07		3726'21.7431"N		796'13.7214"W		319.435		174938.557		0		UNKNOWN		68		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		7		7		8.505		-1.006		43.629		Yes		7/24/25 18:07		RTK		31		1		0.52		0.86		9029		-1339		Yes		RTK		3D		0.6		2438		0.85		0.472		0.472		1.946				WME		Water Meter

		UP1121		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1121		7/24/25 18:08		3726'20.8768"N		796'13.0480"W		103.277		175041.834		0		UNKNOWN		139		32768		CLASSIC		PEAK WITH ARROWS		140		98.642		100		4		2		11.05		-3.943		12.768		Yes		7/24/25 18:08		RTK		31		1.04		0.52		0.9		9116		-1339		Yes		RTK		3D		1.2		2438		0.85		0.472		0.472		1.946				WME		Water Meter

		UP1122		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1122		7/24/25 18:08		3726'20.8597"N		796'13.0304"W		2.245		175044.079		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0		100		11		7		17.896		-3.336		20.884		Yes		7/24/25 18:08		RTK		31		1.05		0.53		0.9		9117		-1339		Yes		RTK		3D		3		2438		1.774		1.05		0.709		4.123				WME		Water Meter

		UP1123		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1123		7/24/25 18:09		3726'19.4556"N		796'11.9648"W		166.313		175210.391		0		UNKNOWN		357		32768		CLASSIC		PEAK WITH ARROWS		140		3.755		100		79		10		12.989		-2.519		-37.506		Yes		7/24/25 18:09		RTK		32		1.12		0.55		0.97		9244		-1339		Yes		RTK		3D		1.2		2438		0.672		0.551		0.472		1.738				WME		Water Meter

		UP1124		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1124		7/24/25 18:10		3726'18.1839"N		796'11.7091"W		130.645		175341.036		0		UNKNOWN		28		32768		CLASSIC		PEAK WITH ARROWS		140		27.127		100		14		10		13.615		0.445		19.971		Yes		7/24/25 18:10		RTK		32		1.08		0.54		0.93		9315		-1339		Yes		RTK		3D		1.2		2438		0.591		0.433		0.433		1.465				WME		Water Meter

		UP1125		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1125		7/24/25 18:10		3726'18.1554"N		796'11.7122"W		2.905		175343.941		0		UNKNOWN		15		32768		CLASSIC		PEAK WITH ARROWS		140		10.095		100		-3		9		17.301		-2.062		80.806		Yes		7/24/25 18:10		RTK		32		1.07		0.53		0.93		9320		-1339		Yes		RTK		3D		1.2		2438		0.366		0.283		0.394		0.926				WME		Water Meter

		UP1126		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1126		7/24/25 18:11		3726'16.6395"N		796'11.5156"W		154.605		175498.546		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.36		100		62		9		12.308		-4.099		-31.777		Yes		7/24/25 18:11		RTK		32		1.03		0.52		0.89		9471		-1339		Yes		RTK		3D		0.6		2438		0.759		0.382		0.394		1.698				WME		Water Meter

		UP1127		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1127		7/24/25 18:12		3726'15.4115"N		796'11.4122"W		124.854		175623.4		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.743		100		28		9		9.387		0.834		-74.321		Yes		7/24/25 18:12		RTK		32		1.03		0.52		0.89		9569		-1339		Yes		RTK		3D		0.8		2438		0.85		0.472		0.472		1.946				WME		Water Meter

		UP1128		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1128		7/24/25 18:12		3726'14.4659"N		796'11.4059"W		95.934		175719.335		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.442		100		-26		7		10.899		-1.75		-15.439		Yes		7/24/25 18:12		RTK		32		1.05		0.53		0.9		9594		-1339		Yes		RTK		3D		1		2438		0.759		0.551		0.512		1.875				WME		Water Meter

		UP1129		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1129		7/24/25 18:13		3726'13.2446"N		796'11.1083"W		126.202		175845.537		0		UNKNOWN		538		32768		CLASSIC		PEAK WITH ARROWS		140		14.492		100		48		6		11.52		-2.477		-24.605		Yes		7/24/25 18:13		RTK		32		1		0.5		0.86		9572		-1339		Yes		RTK		3D		0.8		2438		1.64		1.05		0.787		3.895				WME		Water Meter

		UP1130		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1130		7/24/25 18:18		3726'13.2853"N		796'11.8469"W		59.641		175905.178		0		UNKNOWN		41		32768		CLASSIC		PEAK WITH ARROWS		140		3.781		100		-3		9		8.408		0.498		41.754		Yes		7/24/25 18:18		RTK		32		1.03		0.52		0.89		9572		-1339		Yes		RTK		3D		0.8		2438		0.948		0.672		0.591		2.323				WME		Water Meter

		UP1131		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1131		7/24/25 18:19		3726'14.4959"N		796'12.0282"W		123.681		176028.859		0		UNKNOWN		52		32768		CLASSIC		PEAK WITH ARROWS		140		13.216		100		-4		6		12.274		-1.635		26.398		Yes		7/24/25 18:19		RTK		32		1.02		0.51		0.89		9582		-1339		Yes		RTK		3D		1.2		2438		0.472		0.394		0.394		1.23				WME		Water Meter

		UP1132		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1132		7/24/25 18:23		3726'15.4346"N		796'12.2509"W		96.903		176125.762		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.156		100		-8		7		9.024		0.136		-78.674		Yes		7/24/25 18:23		RTK		32		1.05		0.53		0.91		9561		-1339		Yes		RTK		3D		1.4		2438		0.512		0.346		0.394		1.236				WME		Water Meter

		UP1133		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1133		7/24/25 18:25		3726'16.4691"N		796'12.2785"W		104.977		176230.739		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		10.885		100		-15		10		12.844		2.759		89.369		Yes		7/24/25 18:25		RTK		32		1.09		0.54		0.95		9470		-1339		Yes		RTK		3D		0.8		2438		0.551		0.433		0.394		1.402				WME		Water Meter

		UP1134		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1134		7/24/25 18:26		3726'17.3370"N		796'12.2664"W		88.059		176318.797		0		UNKNOWN		22		32768		CLASSIC		PEAK WITH ARROWS		140		14.716		100		-3		11		15.654		-1.446		79.543		Yes		7/24/25 18:26		RTK		32		1.03		0.51		0.89		9357		-1339		Yes		RTK		3D		1.2		2438		0.551		0.433		0.433		1.402				WME		Water Meter

		UP1135		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1135		7/24/25 18:38		3726'28.8433"N		796'55.6241"W		0		176318.797		0		UNKNOWN		113		32768		CLASSIC		PEAK WITH ARROWS		140		10.13		100		18		12		19.413		-5.472		76.776		Yes		7/24/25 18:38		RTK		32		0.98		0.52		0.83		9742		-1339		Yes		RTK		3D		1.2		2438		0.591		0.472		0.433		1.513				WME		Water Meter

		UP1136		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1136		7/24/25 18:48		3726'21.1657"N		796'51.2878"W		853.637		177172.434		0		UNKNOWN		18		32768		CLASSIC		PEAK WITH ARROWS		140		31.801		100		4		8		17.571		-3.292		33.591		Yes		7/24/25 18:48		GPS SPS VALID		31		0.88		0.48		0.74		9416		-1339		Yes		AUTONOMOUS		3D		0		0		82.283		64.961		59.055		209.671				WME		Water Meter

		UP1137		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1137		7/24/25 18:48		3726'21.1659"N		796'51.2833"W		0.369		177172.803		0		UNKNOWN		88		32768		CLASSIC		PEAK WITH ARROWS		140		21.157		100		0		8		46.746		1.077		7.354		Yes		7/24/25 18:48		GPS SPS VALID		31		0.88		0.48		0.74		9378		-1339		Yes		AUTONOMOUS		3D		0		0		64.961		51.969		47.244		166.38				WME		Water Meter

		UP1138		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1138		7/24/25 18:48		3726'21.1438"N		796'51.2919"W		2.346		177175.149		0		UNKNOWN		2181		32768		CLASSIC		PEAK WITH ARROWS		140		11.009		100		-37		6		47.364		11.183		28.575		Yes		7/24/25 18:48		GPS SPS VALID		32		0.86		0.46		0.72		9371		-1339		Yes		AUTONOMOUS		3D		0		0		47.638		40.276		35.827		124.764				WME		Water Meter

		UP1139		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1139		7/24/25 18:48		3726'21.1298"N		796'51.2363"W		4.697		177179.846		0		UNKNOWN		34		32768		CLASSIC		PEAK WITH ARROWS		140		20.271		100		-6		10		32.415		20.339		58.113		Yes		7/24/25 18:48		FLOAT RTK		32		0.95		0.51		0.8		9341		-1339		Yes		FLOAT RTK		3D		1.6		2445		27.608		20.246		3.858		68.472				WME		Water Meter

		UP1140		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1140		7/24/25 18:50		3726'21.0194"N		796'51.3384"W		13.896		177193.742		0		UNKNOWN		36		32768		CLASSIC		PEAK WITH ARROWS		140		37.654		100		-7		4		13.57		1.018		-72.124		Yes		7/24/25 18:50		RTK		30		0.97		0.51		0.82		9285		-1339		Yes		RTK		3D		1.2		2445		1.27		1.05		0.709		3.296				WME		Water Meter

		UP1141		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1141		7/24/25 18:51		3726'19.9896"N		796'53.0550"W		173.306		177367.048		0		UNKNOWN		6		32768		CLASSIC		PEAK WITH ARROWS		140		19.989		100		1		8		11.241		-1.215		40.973		Yes		7/24/25 18:51		RTK		32		0.99		0.53		0.84		9138		-1339		Yes		RTK		3D		0.6		2445		0.85		0.672		0.591		2.168				WME		Water Meter

		UP1142		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1142		7/24/25 18:52		3726'18.5831"N		796'54.8362"W		202.353		177569.4		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.972		100		-18		12		21.768		0.261		-33.348		Yes		7/24/25 18:52		RTK		32		0.96		0.5		0.81		9112		-1339		Yes		RTK		3D		0.8		2445		0.433		0.343		0.394		1.104				WME		Water Meter

		UP1143		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1143		7/24/25 18:53		3726'17.9406"N		796'55.7896"W		100.726		177670.126		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.699		100		1		12		13.531		-0.983		-83.585		Yes		7/24/25 18:53		RTK		32		1.01		0.54		0.86		9221		-1339		Yes		RTK		3D		1.6		2445		0.512		0.472		0.394		1.393				WME		Water Meter

		UP1144		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1144		7/24/25 18:55		3726'19.7029"N		796'52.3525"W		329.578		177999.705		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		7.793		100		4		9		10.781		-1.605		18.625		Yes		7/24/25 18:55		RTK		31		0.95		0.51		0.8		9144		-1339		Yes		RTK		3D		1.2		2445		0.759		0.591		0.551		1.923				WME		Water Meter

		UP1145		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1145		7/24/25 18:56		3726'20.5884"N		796'50.9619"W		143.583		178143.288		0		UNKNOWN		13		32768		CLASSIC		PEAK WITH ARROWS		140		19.906		100		-13		7		16.14		0.108		69.433		Yes		7/24/25 18:56		RTK		30		1.04		0.55		0.88		9263		-1339		Yes		RTK		3D		1.4		2445		0.591		0.472		0.433		1.513				WME		Water Meter

		UP1146		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1146		7/24/25 18:58		3726'22.4497"N		796'48.3695"W		281.534		178424.822		0		UNKNOWN		65		32768		CLASSIC		PEAK WITH ARROWS		140		5.511		100		-9		7		9.353		0.531		78.749		Yes		7/24/25 18:58		RTK		31		1.09		0.55		0.94		9230		-1339		Yes		RTK		3D		0.6		2445		0.433		0.394		0.394		1.171				WME		Water Meter

		UP1147		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1147		7/24/25 18:58		3726'22.4311"N		796'48.3507"W		2.416		178427.239		0		UNKNOWN		7		32768		CLASSIC		PEAK WITH ARROWS		140		17.773		100		-13		11		12.549		-3.644		-31.575		Yes		7/24/25 18:58		RTK		32		1.09		0.55		0.94		9229		-1339		Yes		RTK		3D		2.4		2445		0.591		0.472		0.472		1.513				WME		Water Meter

		UP1148		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1148		7/24/25 18:59		3726'21.6215"N		796'48.0339"W		86.004		178513.243		0		UNKNOWN		3		32768		CLASSIC		PEAK WITH ARROWS		140		11.127		100		78		9		17.898		-2.423		-54.652		Yes		7/24/25 18:59		RTK		30		1.13		0.56		0.98		9166		-1339		Yes		RTK		3D		0.8		2445		0.948		0.591		0.551		2.233				WME		Water Meter

		UP1149		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1149		7/24/25 19:00		3726'20.5632"N		796'48.1570"W		107.821		178621.064		0		UNKNOWN		3		32768		CLASSIC		PEAK WITH ARROWS		140		33.282		100		-5		11		9.603		-4.631		-6.909		Yes		7/24/25 19:00		RTK		31		1.3		0.63		1.14		9126		-1339		Yes		RTK		3D		1.6		2445		1.27		0.759		0.669		2.959				WME		Water Meter

		UP1150		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1150		7/24/25 19:00		3726'20.6544"N		796'47.6411"W		42.57		178663.634		0		UNKNOWN		428		32768		CLASSIC		PEAK WITH ARROWS		140		8.701		100		7		7		11.954		-2.185		-40.393		Yes		7/24/25 19:00		RTK		32		1.13		0.56		0.98		9076		-1339		Yes		RTK		3D		0.8		2445		0.472		0.378		0.433		1.21				WME		Water Meter

		UP1151		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1151		7/24/25 19:01		3726'20.1526"N		796'47.4772"W		52.589		178716.224		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		12.246		100		-10		10		15.657		1.527		14.435		Yes		7/24/25 19:01		RTK		32		1.13		0.56		0.98		9043		-1339		Yes		RTK		3D		1		2445		0.85		0.551		0.551		2.027				WME		Water Meter

		UP1152		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1152		7/24/25 19:01		3726'20.1341"N		796'47.4610"W		2.289		178718.513		0		UNKNOWN		24		32768		CLASSIC		PEAK WITH ARROWS		140		11.341		100		6		10		15.458		0.905		-33.454		Yes		7/24/25 19:01		RTK		32		1.16		0.57		1.01		9042		-1339		Yes		RTK		3D		2.6		2445		1.388		0.759		0.63		3.164				WME		Water Meter

		UP1153		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1153		7/24/25 19:01		3726'20.1175"N		796'47.4587"W		1.694		178720.206		0		UNKNOWN		7		32768		CLASSIC		PEAK WITH ARROWS		140		8.179		100		0		8		15.094		0.201		-68.884		Yes		7/24/25 19:01		RTK		31		1.16		0.57		1.01		9040		-1339		Yes		RTK		3D		1		2445		1.388		0.759		0.669		3.164				WME		Water Meter

		UP1154		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1154		7/24/25 19:01		3726'20.0990"N		796'47.4506"W		1.983		178722.189		0		UNKNOWN		17		32768		CLASSIC		PEAK WITH ARROWS		140		14.8		100		7		7		15.747		-2.009		15.74		Yes		7/24/25 19:01		RTK		31		1.13		0.56		0.98		9038		-1339		Yes		RTK		3D		2.4		2445		0.672		0.551		0.512		1.738				WME		Water Meter

		UP1155		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1155		7/24/25 19:03		3726'18.2872"N		796'47.2708"W		184.383		178906.572		0		UNKNOWN		76		32768		CLASSIC		PEAK WITH ARROWS		140		19.817		100		16		7		9.108		-1.738		45.927		Yes		7/24/25 19:03		RTK		30		1.13		0.56		0.99		8832		-1339		Yes		RTK		3D		1.4		2445		0.85		0.512		0.512		1.985				WME		Water Meter

		UP1156		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1156		7/24/25 19:04		3726'18.8070"N		796'46.9120"W		60.136		178966.707		0		UNKNOWN		132		32768		CLASSIC		PEAK WITH ARROWS		140		8.701		100		0		11		18.895		-2.941		-45.44		Yes		7/24/25 19:04		RTK		32		1.07		0.53		0.93		8861		-1339		Yes		RTK		3D		1.4		2445		1.64		0.759		0.709		3.615				WME		Water Meter

		UP1157		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1157		7/24/25 19:06		3726'17.7924"N		796'46.4732"W		108.83		179075.537		0		UNKNOWN		25		32768		CLASSIC		PEAK WITH ARROWS		140		12.709		100		0		10		9.385		-0.759		18.217		Yes		7/24/25 19:06		RTK		31		1.1		0.54		0.95		8769		-1339		Yes		RTK		3D		1		2445		0.591		0.512		0.433		1.563				WME		Water Meter

		UP1158		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1158		7/24/25 19:06		3726'17.7771"N		796'46.4609"W		1.842		179077.379		0		UNKNOWN		144		32768		CLASSIC		PEAK WITH ARROWS		140		6.951		100		0		11		12.228		-1.673		16.813		Yes		7/24/25 19:06		RTK		31		1.13		0.56		0.99		8767		-1339		Yes		RTK		3D		1.2		2445		1.913		1.388		0.827		4.728				WME		Water Meter

		UP1159		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1159		7/24/25 19:06		3726'17.7590"N		796'46.4630"W		1.837		179079.216		0		UNKNOWN		15		32768		CLASSIC		PEAK WITH ARROWS		140		12.194		100		25		9		14.907		-3.793		-47.815		Yes		7/24/25 19:06		RTK		31		1.07		0.53		0.93		8764		-1339		Yes		RTK		3D		2.4		2445		1.05		0.85		0.591		2.702				WME		Water Meter

		UP1160		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1160		7/24/25 19:06		3726'17.7465"N		796'46.4484"W		1.736		179080.952		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.379		100		-18		4		13.343		-3.031		-44.299		Yes		7/24/25 19:06		RTK		31		1.07		0.53		0.93		8765		-1339		Yes		RTK		3D		0.8		2445		0.948		0.85		0.63		2.546				WME		Water Meter

		UP1161		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1161		7/24/25 19:07		3726'17.2743"N		796'46.1881"W		52.286		179133.238		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.105		100		-95		11		15.1		1.423		63.268		Yes		7/24/25 19:07		RTK		31		1.07		0.53		0.93		8753		-1339		Yes		RTK		3D		1		2445		0.85		0.512		0.551		1.985				WME		Water Meter

		UP1162		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1162		7/24/25 19:08		3726'15.6215"N		796'45.2569"W		183.691		179316.929		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.254		100		-3		11		14.118		-0.681		-8.05		Yes		7/24/25 19:08		RTK		29		1.1		0.54		0.95		8751		-1339		Yes		RTK		3D		1.4		2445		0.591		0.472		0.433		1.513				WME		Water Meter

		UP1163		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1163		7/24/25 19:08		3726'15.5804"N		796'45.2434"W		4.316		179321.245		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		2.59		100		50		9		14.009		0.85		-58.063		Yes		7/24/25 19:08		RTK		32		1.06		0.53		0.92		8748		-1339		Yes		RTK		3D		1.6		2445		0.512		0.433		0.394		1.341				WME		Water Meter

		UP1164		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1164		7/24/25 19:08		3726'14.2038"N		796'44.8184"W		143.788		179465.033		0		UNKNOWN		171		32768		CLASSIC		PEAK WITH ARROWS		140		12.815		100		4		13		10.978		-1.768		22.872		Yes		7/24/25 19:09		RTK		32		1.06		0.53		0.92		8692		-1339		Yes		RTK		3D		1.2		2445		0.591		0.512		0.472		1.563				WME		Water Meter

		UP1165		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1165		7/24/25 19:09		3726'14.1136"N		796'44.7969"W		9.309		179474.341		0		UNKNOWN		25		32768		CLASSIC		PEAK WITH ARROWS		140		8.341		100		-7		10		14.576		-3.132		-51.751		Yes		7/24/25 19:09		RTK		32		1.06		0.53		0.92		8698		-1339		Yes		RTK		3D		0.8		2445		0.948		0.672		0.63		2.323				WME		Water Meter

		UP1166		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1166		7/24/25 19:12		3726'13.1092"N		796'44.4363"W		105.963		179580.305		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		10.721		100		8		8		12.401		-1.573		70.077		Yes		7/24/25 19:12		RTK		31		1.05		0.53		0.91		8683		-1339		Yes		RTK		3D		1		2445		1.05		0.591		0.512		2.409				WME		Water Meter

		UP1167		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1167		7/24/25 19:18		3726'21.7242"N		796'49.4553"W		962.972		180543.277		0		UNKNOWN		28		32768		CLASSIC		PEAK WITH ARROWS		140		53.863		100		7		7		8.519		-0.198		59.661		Yes		7/24/25 19:18		RTK		30		1.03		0.53		0.88		9278		-1339		Yes		RTK		3D		0.4		2445		0.948		0.591		0.551		2.233				WME		Water Meter

		UP1168		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1168		7/24/25 19:31		3726'9.4900"N		796'46.9653"W		1257.265		181800.542		0		UNKNOWN		39		32768		CLASSIC		PEAK WITH ARROWS		140		11.631		100		-36		10		9.596		-0.17		77.814		Yes		7/24/25 19:31		RTK		32		1.03		0.55		0.88		8703		-1339		Yes		RTK		3D		0.4		2445		0.759		0.551		0.472		1.875				WME		Water Meter

		UP1169		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1169		7/24/25 19:31		3726'10.3798"N		796'46.3936"W		101.339		181901.881		0		UNKNOWN		25		32768		CLASSIC		PEAK WITH ARROWS		140		22.595		100		-5		6		15.883		-1.183		-36.899		Yes		7/24/25 19:31		RTK		32		1.03		0.55		0.88		8758		-1339		Yes		RTK		3D		0.8		2445		0.591		0.551		0.433		1.616				WME		Water Meter

		UP1170		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1170		7/24/25 19:32		3726'10.3931"N		796'46.3764"W		1.935		181903.815		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		5.521		100		15		9		13.232		-2.461		18.367		Yes		7/24/25 19:32		RTK		32		1.03		0.55		0.87		8756		-1339		Yes		RTK		3D		0.6		2445		0.433		0.394		0.394		1.171				WME		Water Meter

		UP1171		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1171		7/24/25 19:35		3726'12.2222"N		796'44.0048"W		266.33		182170.146		0		UNKNOWN		275		32768		CLASSIC		PEAK WITH ARROWS		140		3.011		100		-9		11		11.343		1.195		-11.006		Yes		7/24/25 19:35		RTK		31		1.01		0.55		0.86		8712		-1339		Yes		RTK		3D		1.2		2445		0.672		0.551		0.472		1.738				WME		Water Meter

		UP1172		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1172		7/24/25 19:35		3726'12.1971"N		796'44.0683"W		5.716		182175.862		0		UNKNOWN		1		32768		CLASSIC		PEAK WITH ARROWS		140		16.584		100		-8		10		9.513		-1.329		-62.254		Yes		7/24/25 19:35		RTK		31		1.01		0.55		0.85		8714		-1339		Yes		RTK		3D		1		2445		0.591		0.512		0.433		1.563				WME		Water Meter

		UP1173		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1173		7/24/25 19:50		3726'23.9518"N		796'49.8321"W		1279.713		183455.575		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.254		100		-10		6		15.498		-2.141		89.494		Yes		7/24/25 19:50		GPS SPS VALID		28		0.92		0.53		0.75		9658		-1339		Yes		AUTONOMOUS		3D		0		0		233.858		186.22		161.417		597.889				WME		Water Meter

		UP1174		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1174		7/24/25 19:50		3726'24.0379"N		796'49.9417"W		12.422		183467.997		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.957		100		-17		2		53.306		20.871		-24.012		Yes		7/24/25 19:50		GPS SPS VALID		29		0.88		0.51		0.72		9366		-1339		Yes		AUTONOMOUS		3D		0		0		77.953		64.961		59.055		202.943				WME		Water Meter

		UP1175		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1175		7/24/25 19:50		3726'24.0415"N		796'49.9493"W		0.712		183468.708		0		UNKNOWN		26		32768		CLASSIC		PEAK WITH ARROWS		140		9.978		100		-18		3		61.768		16.385		40.511		Yes		7/24/25 19:50		GPS SPS VALID		29		0.9		0.53		0.73		9350		-1339		Yes		AUTONOMOUS		3D		0		0		64.961		56.299		51.181		171.924				WME		Water Meter

		UP1176		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1176		7/24/25 19:50		3726'24.0779"N		796'50.0036"W		5.722		183474.43		0		UNKNOWN		21		32768		CLASSIC		PEAK WITH ARROWS		140		28.472		100		3		6		63.034		33.106		3.803		Yes		7/24/25 19:50		GPS SPS VALID		29		0.88		0.51		0.72		9366		-1339		Yes		AUTONOMOUS		3D		0		0		51.969		43.307		39.37		135.296				WME		Water Meter

		UP1177		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1177		7/24/25 19:50		3726'24.0817"N		796'50.0100"W		0.647		183475.078		0		UNKNOWN		14		32768		CLASSIC		PEAK WITH ARROWS		140		15.79		100		-15		7		48.866		5.628		73.398		Yes		7/24/25 19:50		GPS SPS VALID		29		0.88		0.51		0.72		9372		-1339		Yes		AUTONOMOUS		3D		0		0		47.638		41.575		35.827		126.457				WME		Water Meter

		UP1178		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1178		7/24/25 19:50		3726'24.0600"N		796'49.9981"W		2.399		183477.477		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		6.117		100		-233		7		51.395		4.583		17.877		Yes		7/24/25 19:50		DGPS SPS VALID		28		1.02		0.57		0.84		9366		-1339		Yes		DIFFERENTIAL		3D		1.2		2453		54.213		47.835		35.039		144.598				WME		Water Meter

		UP1179		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1179		7/24/25 19:50		3726'24.0176"N		796'49.9822"W		4.492		183481.969		0		UNKNOWN		33		32768		CLASSIC		PEAK WITH ARROWS		140		8.306		100		64		4		58.664		13.483		-16.713		Yes		7/24/25 19:50		RTK		29		0.95		0.54		0.78		9402		-1339		Yes		RTK		3D		2		2453		0.85		0.759		0.512		2.279				WME		Water Meter

		UP1180		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1180		7/24/25 19:51		3726'24.5934"N		796'51.0771"W		105.785		183587.755		0		UNKNOWN		195		32768		CLASSIC		PEAK WITH ARROWS		140		17.923		100		13		11		13.676		-0.355		-48.041		Yes		7/24/25 19:51		RTK		29		0.95		0.54		0.78		9468		-1339		Yes		RTK		3D		1		2453		0.591		0.551		0.433		1.616				WME		Water Meter

		UP1181		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1181		7/24/25 19:52		3726'25.4830"N		796'52.6641"W		156.483		183744.237		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		14.342		100		0		9		16.237		1.864		54.978		Yes		7/24/25 19:52		RTK		32		0.94		0.54		0.77		9597		-1339		Yes		RTK		3D		0.8		2453		1.157		0.591		0.551		2.599				WME		Water Meter

		UP1182		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1182		7/24/25 19:53		3726'25.5002"N		796'52.6681"W		1.781		183746.018		0		UNKNOWN		23		32768		CLASSIC		PEAK WITH ARROWS		140		33.616		100		-13		5		18.658		-1.943		73.326		Yes		7/24/25 19:53		RTK		32		0.94		0.54		0.77		9597		-1339		Yes		RTK		3D		1		2453		0.551		0.472		0.394		1.452				WME		Water Meter

		UP1183		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1183		7/24/25 19:55		3726'26.2172"N		796'54.2372"W		145.83		183891.848		0		UNKNOWN		119		32768		CLASSIC		PEAK WITH ARROWS		140		9.501		100		-214		8		9.481		-2.071		58.103		Yes		7/24/25 19:55		RTK		32		0.93		0.54		0.75		9674		-1339		Yes		RTK		3D		2.4		2453		0.672		0.512		0.394		1.689				WME		Water Meter

		UP1184		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1184		7/24/25 19:55		3726'26.1077"N		796'54.0201"W		20.72		183912.568		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.006		100		-96		9		13.452		0.082		67.35		Yes		7/24/25 19:55		RTK		31		0.93		0.54		0.75		9670		-1339		Yes		RTK		3D		1		2453		0.551		0.433		0.394		1.402				WME		Water Meter

		UP1185		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1185		7/24/25 19:56		3726'25.6583"N		796'54.2464"W		49.098		183961.666		0		UNKNOWN		338		32768		CLASSIC		PEAK WITH ARROWS		140		7.362		100		1		11		11.424		-1.384		1.761		Yes		7/24/25 19:57		RTK		32		0.92		0.54		0.74		9661		-1339		Yes		RTK		3D		1.4		2453		0.85		0.672		0.551		2.168				WME		Water Meter

		UP1186		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1186		7/24/25 19:58		3726'24.4124"N		796'51.7823"W		235.308		184196.974		0		UNKNOWN		14		32768		CLASSIC		PEAK WITH ARROWS		140		52.863		100		2		12		10.621		-0.855		28.062		Yes		7/24/25 19:58		RTK		32		0.92		0.54		0.74		9539		-1339		Yes		RTK		3D		0.6		2453		0.85		0.591		0.472		2.071				WME		Water Meter

		UP1187		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1187		7/25/25 9:01		3727'22.7462"N		797'10.3909"W		0		184196.974		0		UNKNOWN		25		32768		CLASSIC		PEAK WITH ARROWS		140		9.342		100		-63		5		8.736		-1.492		49.045		Yes		7/25/25 9:01		RTK		30		1.08		0.55		0.93		10508		-1339		Yes		RTK		3D		1.2		2760		0.672		0.512		0.512		1.689				WME		Water Meter

		UP1188		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1188		7/25/25 9:02		3727'21.9452"N		797'7.4971"W		246.813		184443.787		0		UNKNOWN		46		32768		CLASSIC		PEAK WITH ARROWS		140		14.944		100		-3		7		13.378		-2.279		-69.563		Yes		7/25/25 9:02		RTK		32		1.03		0.54		0.88		10388		-1339		Yes		RTK		3D		1.4		2760		1.27		0.759		0.748		2.959				WME		Water Meter

		UP1189		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1189		7/25/25 9:03		3727'21.5959"N		797'6.2989"W		102.79		184546.577		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		12.353		100		0		11		8.776		-2.124		28.209		Yes		7/25/25 9:03		RTK		32		1.03		0.54		0.88		10370		-1339		Yes		RTK		3D		1.8		2760		0.759		0.512		0.512		1.83				WME		Water Meter

		UP1190		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1190		7/25/25 9:04		3727'21.2374"N		797'4.7609"W		129.095		184675.671		0		UNKNOWN		44		32768		CLASSIC		PEAK WITH ARROWS		140		10.309		100		-1		5		12.141		0.607		-83.501		Yes		7/25/25 9:04		RTK		32		1.08		0.55		0.93		10296		-1339		Yes		RTK		3D		1		2760		0.948		0.672		0.63		2.323				WME		Water Meter

		UP1191		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1191		7/25/25 9:05		3727'20.7790"N		797'3.2557"W		129.832		184805.504		0		UNKNOWN		126		32768		CLASSIC		PEAK WITH ARROWS		140		6.843		100		-2		7		11.969		-2.344		-86.147		Yes		7/25/25 9:05		RTK		32		1.1		0.56		0.94		10195		-1339		Yes		RTK		3D		1.2		2760		0.948		0.551		0.551		2.192				WME		Water Meter

		UP1192		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1192		7/25/25 9:06		3727'20.3722"N		797'1.5581"W		142.804		184948.308		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.338		100		-1		8		15.272		-0.733		52.043		Yes		7/25/25 9:06		RTK		31		1.09		0.56		0.94		10257		-1339		Yes		RTK		3D		1.8		2760		0.948		0.672		0.669		2.323				WME		Water Meter

		UP1193		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1193		7/25/25 9:09		3727'19.4668"N		796'58.1165"W		291.996		185240.304		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.028		100		1		11		11.63		-2.299		-88.652		Yes		7/25/25 9:09		RTK		32		1.02		0.54		0.87		10267		-1339		Yes		RTK		3D		0.8		2760		1.157		0.759		0.709		2.768				WME		Water Meter

		UP1194		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1194		7/25/25 9:11		3727'19.0217"N		796'56.3284"W		150.917		185391.221		0		UNKNOWN		536		32768		CLASSIC		PEAK WITH ARROWS		140		10.838		100		-3		6		8.439		-1.435		48.532		Yes		7/25/25 9:11		RTK		32		1.03		0.54		0.87		10216		-1339		Yes		RTK		3D		1.4		2760		0.948		0.759		0.63		2.427				WME		Water Meter

		UP1195		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1195		7/25/25 9:12		3727'18.6172"N		796'54.9147"W		121.017		185512.237		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		6.185		100		-3		8		9.407		-0.949		83.937		Yes		7/25/25 9:12		RTK		32		1.23		0.61		1.07		10221		-1339		Yes		RTK		3D		1		2760		1.05		0.591		0.63		2.409				WME		Water Meter

		UP1196		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1196		7/25/25 9:14		3727'18.0253"N		796'52.6219"W		194.17		185706.408		0		UNKNOWN		441		32768		CLASSIC		PEAK WITH ARROWS		140		4.487		100		143		11		9.337		-1.997		-17.984		Yes		7/25/25 9:14		RTK		32		1.03		0.55		0.87		10163		-1339		Yes		RTK		3D		1.6		2760		1.05		0.591		0.591		2.409				WME		Water Meter

		UP1197		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1197		7/25/25 9:15		3727'19.0461"N		796'54.4042"W		176.992		185883.4		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.441		100		10		8		14.357		1.017		-61.13		Yes		7/25/25 9:15		RTK		32		1.03		0.54		0.87		10166		-1339		Yes		RTK		3D		1		2760		0.591		0.433		0.433		1.465				WME		Water Meter

		UP1198		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1198		7/25/25 9:16		3727'19.3433"N		796'55.4426"W		88.895		185972.295		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.841		100		-53		9		10.189		-0.724		-48.243		Yes		7/25/25 9:16		RTK		31		1.04		0.56		0.87		10183		-1339		Yes		RTK		3D		1.2		2760		0.672		0.433		0.433		1.599				WME		Water Meter

		UP1199		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1199		7/25/25 9:18		3727'19.7588"N		796'56.9349"W		127.365		186099.66		0		UNKNOWN		24		32768		CLASSIC		PEAK WITH ARROWS		140		58.612		100		-2		3		9.916		-0.713		37.181		Yes		7/25/25 9:18		RTK		32		1.02		0.54		0.87		10178		-1339		Yes		RTK		3D		1		2760		0.85		0.512		0.512		1.985				WME		Water Meter

		UP1200		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1200		7/25/25 9:18		3727'20.0460"N		796'58.0111"W		91.435		186191.096		0		UNKNOWN		7		32768		CLASSIC		PEAK WITH ARROWS		140		9.808		100		-6		11		13.423		-1.39		-90.039		Yes		7/25/25 9:18		RTK		32		1.02		0.54		0.87		10221		-1339		Yes		RTK		3D		1		2760		0.512		0.382		0.394		1.277				WME		Water Meter

		UP1201		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1201		7/25/25 9:22		3727'20.2800"N		796'58.7483"W		63.938		186255.033		0		UNKNOWN		59		32768		CLASSIC		PEAK WITH ARROWS		140		3.003		100		7		9		7.887		-2.807		-12.049		Yes		7/25/25 9:22		RTK		32		1.12		0.62		0.93		10252		-1339		Yes		RTK		3D		1.4		2760		1.157		0.512		0.551		2.531				WME		Water Meter

		UP1202		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1202		7/25/25 9:24		3727'20.7465"N		797'0.4373"W		144.023		186399.056		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		6.017		100		6		11		12.197		-2.418		-18.81		Yes		7/25/25 9:24		RTK		32		1.06		0.59		0.88		10292		-1339		Yes		RTK		3D		1.2		2760		1.157		0.759		0.669		2.768				WME		Water Meter

		UP1203		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1203		7/25/25 9:25		3727'21.0150"N		797'1.3960"W		81.873		186480.929		0		UNKNOWN		8		32768		CLASSIC		PEAK WITH ARROWS		140		14.951		100		-32		9		12.615		-5.837		26.81		Yes		7/25/25 9:25		RTK		32		1.01		0.55		0.85		10281		-1339		Yes		RTK		3D		1.6		2760		1.512		0.948		0.709		3.568				WME		Water Meter

		UP1204		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1204		7/25/25 9:26		3727'21.7230"N		797'3.8038"W		206.782		186687.711		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		20.904		100		1		6		8.438		-2.443		-21.797		Yes		7/25/25 9:26		RTK		32		1.19		0.68		0.98		10305		-1339		Yes		RTK		3D		0.6		2760		2.207		0.759		0.748		4.668				WME		Water Meter

		UP1205		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1205		7/25/25 9:27		3727'21.7446"N		797'4.2910"W		39.294		186727.005		0		UNKNOWN		14		32768		CLASSIC		PEAK WITH ARROWS		140		18.2		100		-1		8		10.198		-1.442		-11.269		Yes		7/25/25 9:28		FLOAT RTK		32		1.17		0.63		0.98		10315		-1339		Yes		FLOAT RTK		3D		1.4		2760		3.681		2.577		0.512		8.987				WME		Water Meter

		UP1206		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1206		7/25/25 9:28		3727'22.2984"N		797'5.7828"W		132.626		186859.631		0		UNKNOWN		27		32768		CLASSIC		PEAK WITH ARROWS		140		2.7		100		-1		10		9.817		-0.774		-40.274		Yes		7/25/25 9:28		RTK		32		1.02		0.55		0.86		10452		-1339		Yes		RTK		3D		0.6		2760		0.759		0.591		0.63		1.923				WME		Water Meter

		UP1207		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1207		7/25/25 9:29		3727'22.6781"N		797'7.5067"W		144.079		187003.71		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.118		100		0		11		9.006		-1.107		68.762		Yes		7/25/25 9:29		RTK		32		1.06		0.6		0.88		10437		-1339		Yes		RTK		3D		1		2760		0.672		0.394		0.394		1.558				WME		Water Meter

		UP1208		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1208		7/25/25 9:29		3727'22.9238"N		797'8.4842"W		82.57		187086.28		0		UNKNOWN		13		32768		CLASSIC		PEAK WITH ARROWS		140		4.782		100		-13		8		9.79		-1.043		30.522		Yes		7/25/25 9:29		RTK		32		1.02		0.55		0.86		10463		-1339		Yes		RTK		3D		1.4		2760		1.27		0.512		0.591		2.739				WME		Water Meter

		UP1209		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1209		7/25/25 9:38		3727'22.5628"N		797'14.4415"W		481.159		187567.439		0		UNKNOWN		27		32768		CLASSIC		PEAK WITH ARROWS		140		45.104		100		3		6		10.714		0.434		-60.321		Yes		7/25/25 9:38		RTK		32		1.01		0.55		0.85		10522		-1339		Yes		RTK		3D		1.6		2760		0.512		0.343		0.394		1.232				WME		Water Meter

		UP1210		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1210		7/25/25 10:41		3727'27.4652"N		797'11.0357"W		567.961		188135.4		0		UNKNOWN		6		32768		CLASSIC		PEAK WITH ARROWS		140		6.522		100		-2		10		12.028		-3.092		-40.87		Yes		7/25/25 10:41		RTK		32		1.15		0.6		0.98		10453		-1339		Yes		RTK		3D		0.8		2846		0.948		0.512		0.669		2.154				WME		Water Meter

		UP1211		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1211		7/25/25 10:42		3727'27.5285"N		797'10.9862"W		7.563		188142.963		0		UNKNOWN		3		32768		CLASSIC		PEAK WITH ARROWS		140		14.566		100		-13		5		14.58		-1.671		-1.078		Yes		7/25/25 10:42		RTK		31		1.15		0.6		0.98		10460		-1339		Yes		RTK		3D		1.2		2846		0.672		0.433		0.551		1.599				WME		Water Meter

		UP1212		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1212		7/25/25 10:43		3727'27.5465"N		797'11.0407"W		4.752		188147.715		0		UNKNOWN		38		32768		CLASSIC		PEAK WITH ARROWS		140		8.835		100		-24		11		15.103		-2.889		19.342		Yes		7/25/25 10:43		RTK		32		1.14		0.6		0.97		10451		-1339		Yes		RTK		3D		1.4		2846		1.27		0.551		0.63		2.77				WME		Water Meter

		UP1213		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1213		7/25/25 10:44		3727'28.1418"N		797'10.6655"W		67.528		188215.243		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.826		100		-28		7		13.493		-0.722		46.66		Yes		7/25/25 10:44		FLOAT RTK		31		1.15		0.61		0.97		10403		-1339		Yes		FLOAT RTK		3D		0.8		2846		5.154		3.129		0.709		12.058				WME		Water Meter

		UP1214		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1214		7/25/25 10:44		3727'28.1562"N		797'10.6821"W		1.971		188217.215		0		UNKNOWN		28		32768		CLASSIC		PEAK WITH ARROWS		140		15.702		100		9		10		13.746		1.213		39.21		Yes		7/25/25 10:44		FLOAT RTK		32		1.19		0.62		1.02		10402		-1339		Yes		FLOAT RTK		3D		2.4		2846		3.681		2.577		0.512		8.987				WME		Water Meter

		UP1215		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1215		7/25/25 10:46		3727'29.3431"N		797'10.0389"W		131.077		188348.292		0		UNKNOWN		15		32768		CLASSIC		PEAK WITH ARROWS		140		45.74		100		6		6		13.858		-1.942		-43.577		Yes		7/25/25 10:46		RTK		31		1.13		0.6		0.96		10378		-1339		Yes		RTK		3D		1		2846		0.551		0.433		0.472		1.402				WME		Water Meter

		UP1216		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1216		7/25/25 10:48		3727'31.5604"N		797'9.3057"W		232.568		188580.86		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		2.375		100		-3		9		13.044		0.26		39.238		Yes		7/25/25 10:48		RTK		31		1.2		0.62		1.03		10340		-1339		Yes		RTK		3D		1		2846		0.591		0.472		0.512		1.513				WME		Water Meter

		UP1217		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1217		7/25/25 10:48		3727'31.5708"N		797'9.3255"W		1.92		188582.78		0		UNKNOWN		8		32768		CLASSIC		PEAK WITH ARROWS		140		5.637		100		1		11		12.444		-0.366		-81.678		Yes		7/25/25 10:48		RTK		31		1.2		0.62		1.03		10338		-1339		Yes		RTK		3D		1.2		2846		0.759		0.551		0.591		1.875				WME		Water Meter

		UP1218		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1218		7/25/25 10:49		3727'33.6078"N		797'9.1175"W		207.334		188790.114		0		UNKNOWN		24		32768		CLASSIC		PEAK WITH ARROWS		140		5.834		100		-12		8		12.708		3.569		39.354		Yes		7/25/25 10:49		RTK		29		1.18		0.6		1.01		10292		-1339		Yes		RTK		3D		1.2		2846		0.85		0.591		0.709		2.071				WME		Water Meter

		UP1219		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1219		7/25/25 10:50		3727'35.0149"N		797'8.8981"W		143.841		188933.955		0		UNKNOWN		18		32768		CLASSIC		PEAK WITH ARROWS		140		11.076		100		5		7		5.351		0.865		-4.25		Yes		7/25/25 10:50		RTK		30		1.18		0.61		1.01		10243		-1339		Yes		RTK		3D		0.4		2846		0.591		0.512		0.551		1.563				WME		Water Meter

		UP1220		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1220		8/2/25 17:17		3725'42.2500"N		798'27.1526"W		0		188933.955		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		2.38		100		-5		11		10.94		0.565		-77.942		Yes		8/2/25 17:17		FLOAT RTK		14		2.07		1.15		1.73		6464		-1338		Yes		FLOAT RTK		3D		1.2		1786		22.087		4.417		3.74		45.048				WME		Water Meter

		UP1221		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1221		8/2/25 17:20		3725'46.2827"N		798'29.0390"W		436.435		189370.39		0		UNKNOWN		13		32768		CLASSIC		PEAK WITH ARROWS		140		22.006		100		-9		11		20.879		1.469		60.092		Yes		8/2/25 17:20		RTK		27		1.15		0.56		1.01		6470		-1338		Yes		RTK		3D		0.8		1786		0.512		0.394		0.394		1.291				WME		Water Meter

		UP1222		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1222		8/2/25 17:20		3725'46.7223"N		798'29.1860"W		46.14		189416.53		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		15.753		100		3		10		16.939		-3.38		-39.59		Yes		8/2/25 17:20		RTK		27		1.15		0.56		1		6467		-1338		Yes		RTK		3D		1.4		1786		0.759		0.433		0.433		1.747				WME		Water Meter

		UP1223		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1223		8/2/25 17:27		3726'3.7687"N		798'41.8046"W		2006.009		191422.539		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.014		100		-2		8		14.509		-4.634		-50.849		Yes		8/2/25 17:27		RTK		28		1.09		0.57		0.92		6546		-1338		Yes		RTK		3D		0.8		1786		0.948		0.472		0.512		2.118				WME		Water Meter

		UP1224		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1224		8/2/25 17:29		3726'3.0296"N		798'40.9047"W		104.297		191526.836		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		4.993		100		1		13		13.271		0.168		81.518		Yes		8/2/25 17:29		FLOAT RTK		32		1.04		0.54		0.89		6547		-1338		Yes		FLOAT RTK		3D		1.4		1786		3.497		2.577		0.512		8.688				WME		Water Meter

		UP1225		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1225		8/2/25 17:34		3725'59.7596"N		798'37.3059"W		440.564		191967.4		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		8.206		100		7		6		13.124		-1.335		48.035		Yes		8/2/25 17:34		FLOAT RTK		31		1.14		0.59		0.98		6441		-1338		Yes		FLOAT RTK		3D		0.6		1786		8.467		4.969		1.614		19.634				WME		Water Meter

		UP1226		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1226		8/2/25 17:39		3725'57.7544"N		798'35.0109"W		274.899		192242.298		0		UNKNOWN		75		32768		CLASSIC		PEAK WITH ARROWS		140		27.062		100		-13		13		14.09		-1.354		5.938		Yes		8/2/25 17:39		RTK		32		1.05		0.55		0.89		6540		-1338		Yes		RTK		3D		1.6		1786		1.157		0.672		0.63		2.677				WME		Water Meter

		UP1227		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1227		8/2/25 17:41		3725'57.2718"N		798'34.6045"W		58.892		192301.191		0		UNKNOWN		13		32768		CLASSIC		PEAK WITH ARROWS		140		12.234		100		11		11		15.56		0.455		12.902		Yes		8/2/25 17:41		RTK		30		1.18		0.61		1.01		6579		-1338		Yes		RTK		3D		0.6		1786		1.388		0.759		0.748		3.164				WME		Water Meter

		UP1228		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1228		8/2/25 17:41		3725'57.1955"N		798'34.5471"W		9.019		192310.209		0		UNKNOWN		14		32768		CLASSIC		PEAK WITH ARROWS		140		13.779		100		0		11		16.054		-2.566		16.505		Yes		8/2/25 17:42		RTK		31		1.08		0.58		0.91		6574		-1338		Yes		RTK		3D		1		1786		0.85		0.591		0.512		2.071				WME		Water Meter

		UP1229		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1229		8/2/25 17:42		3725'57.1601"N		798'34.5194"W		4.225		192314.434		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		8.679		100		-3		10		11.769		2.155		86.51		Yes		8/2/25 17:42		RTK		31		1.07		0.56		0.91		6573		-1338		Yes		RTK		3D		1		1786		0.759		0.591		0.472		1.923				WME		Water Meter

		UP1230		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1230		8/2/25 17:43		3725'55.9222"N		798'33.9001"W		135.137		192449.571		0		UNKNOWN		20		32768		CLASSIC		PEAK WITH ARROWS		140		16.863		100		0		13		12.886		0.543		-41.324		Yes		8/2/25 17:43		RTK		29		1.07		0.57		0.9		6543		-1338		Yes		RTK		3D		0.6		1786		0.85		0.433		0.472		1.909				WME		Water Meter

		UP1231		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1231		8/2/25 17:44		3725'57.8129"N		798'35.7129"W		241.082		192690.653		0		UNKNOWN		43		32768		CLASSIC		PEAK WITH ARROWS		140		6.986		100		10		11		9.966		1.122		-8.756		Yes		8/2/25 17:44		RTK		30		1.17		0.61		0.99		6478		-1338		Yes		RTK		3D		1.4		1786		1.64		1.05		0.827		3.895				WME		Water Meter

		UP1232		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1232		8/2/25 17:46		3725'59.2740"N		798'37.3480"W		198.297		192888.95		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.684		100		0		13		11.424		0.284		-78.54		Yes		8/2/25 17:46		RTK		29		1.1		0.59		0.94		6452		-1338		Yes		RTK		3D		0.8		1786		2.688		0.759		0.709		5.585				WME		Water Meter

		UP1233		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1233		8/2/25 17:59		3725'59.5716"N		798'26.6313"W		863.846		193752.796		0		UNKNOWN		57		32768		CLASSIC		PEAK WITH ARROWS		140		4.206		100		-1		13		8.301		-4.777		56.866		Yes		8/2/25 17:59		RTK		32		1.08		0.59		0.9		8236		-1338		Yes		RTK		3D		1.4		1786		2.362		1.157		0.906		5.261				WME		Water Meter

		UP1234		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1234		8/2/25 18:01		3726'2.5698"N		798'28.7665"W		349.431		194102.227		0		UNKNOWN		33		32768		CLASSIC		PEAK WITH ARROWS		140		17.83		100		54		5		24.405		-1.642		53.504		Yes		8/2/25 18:01		RTK		32		1		0.56		0.83		8491		-1338		Yes		RTK		3D		1		1786		1.157		0.551		0.512		2.564				WME		Water Meter

		UP1235		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1235		8/2/25 18:02		3726'4.0381"N		798'28.9589"W		149.764		194251.991		0		UNKNOWN		275		32768		CLASSIC		PEAK WITH ARROWS		140		13.483		100		0		9		12.784		-2.043		-2.101		Yes		8/2/25 18:02		RTK		32		1		0.56		0.83		8541		-1338		Yes		RTK		3D		0.8		1786		0.948		0.512		0.472		2.154				WME		Water Meter

		UP1236		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1236		8/2/25 18:07		3726'5.5511"N		798'28.7778"W		154.19		194406.182		0		UNKNOWN		138		32768		CLASSIC		PEAK WITH ARROWS		140		13.14		100		45		8		16.521		0.131		68.715		Yes		8/2/25 18:07		RTK		29		1.12		0.62		0.93		8579		-1338		Yes		RTK		3D		0.8		1786		0.512		0.382		0.433		1.277				WME		Water Meter

		UP1237		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1237		8/2/25 18:08		3726'7.2655"N		798'28.9436"W		174.437		194580.618		0		UNKNOWN		59		32768		CLASSIC		PEAK WITH ARROWS		140		22.325		100		-5		12		12.335		1.547		63		Yes		8/2/25 18:08		RTK		28		1.08		0.61		0.89		8596		-1338		Yes		RTK		3D		0.6		1786		1.64		0.948		0.866		3.789				WME		Water Meter

		UP1238		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1238		8/2/25 18:10		3726'6.1797"N		798'29.7606"W		128.318		194708.936		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.321		100		0		9		12.184		-2.535		62.186		Yes		8/2/25 18:10		RTK		30		1.23		0.67		1.03		8698		-1338		Yes		RTK		3D		1.4		1786		1.913		0.948		0.709		4.27				WME		Water Meter

		UP1239		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1239		8/2/25 18:13		3726'0.8441"N		798'28.5512"W		549.998		195258.934		0		UNKNOWN		48		32768		CLASSIC		PEAK WITH ARROWS		140		17.05		100		-19		5		8.783		-1.792		6.113		Yes		8/2/25 18:13		RTK		32		0.99		0.57		0.8		8376		-1338		Yes		RTK		3D		1		1786		0.672		0.433		0.433		1.599				WME		Water Meter

		UP1240		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1240		8/2/25 18:14		3726'0.4896"N		798'28.1767"W		46.934		195305.868		0		UNKNOWN		93		32768		CLASSIC		PEAK WITH ARROWS		140		6.124		100		3		8		7.152		-1.076		-26.86		Yes		8/2/25 18:14		RTK		31		1.02		0.59		0.84		8340		-1338		Yes		RTK		3D		1		1786		1.27		0.591		0.63		2.802				WME		Water Meter

		UP1241		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1241		8/2/25 18:17		3725'56.3181"N		798'29.5056"W		436.533		195742.401		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		6.038		100		-5		11		19.231		0.535		-52.711		Yes		8/2/25 18:17		FLOAT RTK		32		1.01		0.59		0.82		7486		-1338		Yes		FLOAT RTK		3D		0.6		1786		4.049		2.761		0.591		9.802				WME		Water Meter

		UP1242		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1242		8/2/25 18:20		3725'55.6631"N		798'29.0376"W		76.405		195818.806		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.3		100		1		11		14.282		-1.891		-2.895		Yes		8/2/25 18:20		RTK		31		1.05		0.6		0.86		7501		-1338		Yes		RTK		3D		1.4		1786		0.512		0.354		0.394		1.245				WME		Water Meter

		UP1243		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1243		8/2/25 18:20		3725'55.6802"N		798'29.0345"W		1.76		195820.565		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.429		100		1		10		9.914		-0.93		-47.817		Yes		8/2/25 18:20		RTK		31		1.05		0.6		0.86		7499		-1338		Yes		RTK		3D		2.4		1786		0.551		0.394		0.394		1.355				WME		Water Meter

		UP1244		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1244		8/2/25 18:43		3725'54.5739"N		798'29.7490"W		126.141		195946.706		0		UNKNOWN		27		32768		CLASSIC		PEAK WITH ARROWS		140		9.708		100		0		11		14.158		-2.095		-17.831		Yes		8/2/25 18:43		RTK		29		1.11		0.6		0.93		7329		-1338		Yes		RTK		3D		1		1786		0.472		0.386		0.472		1.22				WME		Water Meter

		UP1245		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1245		8/2/25 18:43		3725'54.6038"N		798'29.7334"W		3.285		195949.991		0		UNKNOWN		2		32768		CLASSIC		PEAK WITH ARROWS		140		18.154		100		1		10		17.182		-2.931		30.86		Yes		8/2/25 18:43		RTK		31		1.09		0.59		0.91		7333		-1338		Yes		RTK		3D		1.8		1786		0.472		0.394		0.433		1.23				WME		Water Meter

		UP1246		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1246		8/2/25 18:53		3726'13.2087"N		798'26.1381"W		1909.571		197859.562		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		2.31		100		-58		5		23.192		-2.427		-84.598		Yes		8/2/25 18:53		RTK		31		1.15		0.61		0.97		8740		-1338		Yes		RTK		3D		1		1786		0.512		0.433		0.433		1.341				WME		Water Meter

		UP1247		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1247		8/2/25 19:09		3726'19.5991"N		798'21.1373"W		763.262		198622.823		0		UNKNOWN		16		32768		CLASSIC		PEAK WITH ARROWS		140		35.029		100		1		9		10.615		1.548		61.307		Yes		8/2/25 19:09		FLOAT RTK		30		1.08		0.58		0.91		9128		-1338		Yes		FLOAT RTK		3D		1.2		1786		2.945		2.025		0.394		7.147				WME		Water Meter

		UP1248		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1248		8/2/25 19:10		3726'19.0420"N		798'21.2330"W		57.037		198679.86		0		UNKNOWN		18		32768		CLASSIC		PEAK WITH ARROWS		140		23.367		100		-3		9		14.178		1.34		50.215		Yes		8/2/25 19:10		RTK		30		1.13		0.61		0.95		9127		-1338		Yes		RTK		3D		0.8		1786		0.512		0.472		0.433		1.393				WME		Water Meter

		UP1249		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1249		8/2/25 19:11		3726'18.5103"N		798'21.2655"W		54.008		198733.868		0		UNKNOWN		140		32768		CLASSIC		PEAK WITH ARROWS		140		56.943		100		10		9		16.86		-1.075		10.187		Yes		8/2/25 19:11		DGPS SPS VALID		30		1.12		0.6		0.95		9113		-1338		Yes		DIFFERENTIAL		3D		1.4		1786		5.421		4.783		5.118		14.46				WME		Water Meter

		UP1250		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1250		8/2/25 19:11		3726'18.5129"N		798'21.2659"W		0.265		198734.133		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		7.441		100		-45		3		14.801		-2.461		20.958		Yes		8/2/25 19:11		FLOAT RTK		29		1.16		0.61		0.99		9114		-1338		Yes		FLOAT RTK		3D		1		1786		15.277		10.307		1.811		36.857				WME		Water Meter

		UP1251		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1251		8/2/25 19:13		3726'16.2574"N		798'22.9087"W		264.325		198998.459		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.006		100		1		3		12.749		1.131		-51.857		Yes		8/2/25 19:13		RTK		29		1.11		0.6		0.94		9024		-1338		Yes		RTK		3D		1		1786		0.672		0.512		0.472		1.689				WME		Water Meter

		UP1252		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1252		8/2/25 19:14		3726'16.8883"N		798'22.2692"W		82.159		199080.618		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.117		100		51		4		6.462		1.907		27.778		Yes		8/2/25 19:14		RTK		30		1.11		0.6		0.93		9051		-1338		Yes		RTK		3D		1.4		1786		0.759		0.591		0.472		1.923				WME		Water Meter

		UP1253		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1253		8/2/25 19:15		3726'15.3147"N		798'23.8003"W		201.74		199282.357		0		UNKNOWN		80		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		14		5		9.469		-0.269		-18.315		Yes		8/2/25 19:15		RTK		30		1.08		0.58		0.92		8958		-1338		Yes		RTK		3D		0.6		1786		1.388		0.948		0.827		3.362				WME		Water Meter

		UP1254		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1254		8/2/25 19:17		3726'16.2055"N		798'23.7525"W		90.452		199372.809		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.005		100		43		4		12.445		1.949		-23.695		Yes		8/2/25 19:17		RTK		29		1.08		0.58		0.91		8947		-1338		Yes		RTK		3D		1.2		1786		0.591		0.433		0.394		1.465				WME		Water Meter

		UP1255		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1255		8/2/25 19:19		3726'17.0012"N		798'22.8683"W		107.66		199480.469		0		UNKNOWN		13		32768		CLASSIC		PEAK WITH ARROWS		140		18.686		100		-14		10		12.24		2.988		-87.12		Yes		8/2/25 19:19		FLOAT RTK		31		1.07		0.57		0.9		8979		-1338		Yes		FLOAT RTK		3D		1.2		1786		23.927		20.246		3.937		62.687				WME		Water Meter

		UP1256		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1256		8/2/25 19:22		3726'19.7400"N		798'22.0137"W		286.254		199766.723		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.321		100		-5		8		14.507		-2.147		18.541		Yes		8/2/25 19:22		RTK		30		1.03		0.56		0.86		9147		-1338		Yes		RTK		3D		1.4		1786		1.27		0.672		0.551		2.874				WME		Water Meter

		UP1257		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1257		8/2/25 19:23		3726'20.6560"N		798'21.9713"W		92.986		199859.708		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		4.077		100		10		11		12.669		-2.442		18.616		Yes		8/2/25 19:23		RTK		31		1.02		0.56		0.85		9188		-1338		Yes		RTK		3D		1.2		1786		2.058		1.05		0.669		4.62				WME		Water Meter

		UP1258		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1258		8/2/25 19:24		3726'21.6128"N		798'21.7976"W		98.075		199957.784		0		UNKNOWN		33		32768		CLASSIC		PEAK WITH ARROWS		140		24.306		100		-8		10		12.113		-1.062		11.887		Yes		8/2/25 19:24		RTK		31		1.01		0.56		0.84		9141		-1338		Yes		RTK		3D		1.4		1786		1.27		0.551		0.472		2.77				WME		Water Meter

		UP1259		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1259		8/2/25 19:27		3726'23.6435"N		798'20.6754"W		224.971		200182.755		0		UNKNOWN		142		32768		CLASSIC		PEAK WITH ARROWS		140		5.907		100		-10		10		9.211		-0.344		-82.959		Yes		8/2/25 19:27		RTK		31		1.01		0.56		0.84		9028		-1338		Yes		RTK		3D		1.4		1786		1.157		0.85		0.512		2.873				WME		Water Meter

		UP1260		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1260		8/2/25 19:29		3726'24.7764"N		798'19.5987"W		143.982		200326.737		0		UNKNOWN		12		32768		CLASSIC		PEAK WITH ARROWS		140		27.738		100		9		7		12.827		-0.396		-25.957		Yes		8/2/25 19:29		RTK		30		0.99		0.56		0.82		9009		-1338		Yes		RTK		3D		1		1786		0.591		0.472		0.394		1.513				WME		Water Meter

		UP1261		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1261		8/2/25 19:29		3726'24.7549"N		798'18.0853"W		121.923		200448.66		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		5.305		100		-78		8		11.129		1.169		52.081		Yes		8/2/25 19:29		RTK		30		0.99		0.56		0.81		8976		-1338		Yes		RTK		3D		1		1786		0.672		0.591		0.512		1.789				WME		Water Meter

		UP1262		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1262		8/2/25 19:30		3726'25.7529"N		798'16.9570"W		136.061		200584.721		0		UNKNOWN		19		32768		CLASSIC		PEAK WITH ARROWS		140		20.749		100		-14		8		15.703		1.481		59.726		Yes		8/2/25 19:30		FLOAT RTK		30		0.95		0.54		0.79		9111		-1338		Yes		FLOAT RTK		3D		0.6		1786		6.626		5.522		1.063		17.25				WME		Water Meter

		UP1263		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1263		8/2/25 19:34		3726'25.8931"N		798'14.0139"W		237.49		200822.211		0		UNKNOWN		80		32768		CLASSIC		PEAK WITH ARROWS		140		23.532		100		-16		9		9.663		-0.801		-65.492		Yes		8/2/25 19:34		RTK		32		0.94		0.53		0.77		9171		-1338		Yes		RTK		3D		0.6		1786		1.05		0.591		0.472		2.409				WME		Water Meter

		UP1264		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1264		8/2/25 19:37		3726'26.3390"N		798'15.0663"W		96.08		200918.291		0		UNKNOWN		26		32768		CLASSIC		PEAK WITH ARROWS		140		7.952		100		40		3		14.973		-1.736		-24.528		Yes		8/2/25 19:37		RTK		30		1.04		0.59		0.86		9205		-1338		Yes		RTK		3D		0.8		1786		0.672		0.37		0.394		1.534				WME		Water Meter

		UP1265		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1265		8/2/25 19:38		3726'26.2509"N		798'12.5331"W		204.241		201122.532		0		UNKNOWN		139		32768		CLASSIC		PEAK WITH ARROWS		140		8.654		100		-10		8		8.217		-5.084		22.317		Yes		8/2/25 19:38		RTK		28		1		0.56		0.82		9203		-1338		Yes		RTK		3D		1.4		1786		0.759		0.472		0.394		1.787				WME		Water Meter

		UP1266		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1266		8/2/25 19:42		3726'26.7465"N		798'10.9234"W		139.066		201261.598		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.141		100		-6		11		10.921		-1.951		-67.122		Yes		8/2/25 19:42		RTK		30		1.07		0.61		0.88		9221		-1338		Yes		RTK		3D		0.8		1786		2.058		1.05		0.669		4.62				WME		Water Meter

		UP1267		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1267		8/2/25 19:47		3726'27.8648"N		798'9.3280"W		171.431		201433.029		0		UNKNOWN		8		32768		CLASSIC		PEAK WITH ARROWS		140		32.987		100		14		11		15.278		0.455		66.519		Yes		8/2/25 19:47		RTK		31		0.97		0.56		0.78		9129		-1338		Yes		RTK		3D		0.8		1786		0.672		0.472		0.394		1.643				WME		Water Meter

		UP1268		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1268		8/2/25 19:47		3726'27.8790"N		798'9.3071"W		2.212		201435.241		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		7.361		100		33		5		13.217		-5.207		0.878		Yes		8/2/25 19:47		RTK		30		0.96		0.56		0.78		9129		-1338		Yes		RTK		3D		2		1786		0.759		0.512		0.433		1.83				WME		Water Meter

		UP1269		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1269		8/2/25 19:49		3726'29.6978"N		798'8.3987"W		198.492		201633.733		0		UNKNOWN		278		32768		CLASSIC		PEAK WITH ARROWS		140		8.591		100		0		10		14.377		-1.276		49.961		Yes		8/2/25 19:49		RTK		28		1.12		0.63		0.92		8926		-1338		Yes		RTK		3D		0.6		1786		0.85		0.512		0.472		1.985				WME		Water Meter

		UP1270		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1270		8/5/25 9:50		3727'6.9723"N		797'27.9651"W		0		201633.733		0		UNKNOWN		7		32768		CLASSIC		PEAK WITH ARROWS		140		20.485		100		-5		12		11.234		0.212		39.724		Yes		8/5/25 9:50		RTK		30		1.1		0.57		0.94		10036		-1339		Yes		RTK		3D		1		1036		0.591		0.512		0.551		1.563				WME		Water Meter

		UP1271		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1271		8/5/25 9:51		3727'6.0736"N		797'28.4166"W		98.158		201731.891		0		UNKNOWN		4		32768		CLASSIC		PEAK WITH ARROWS		140		20.747		100		2		11		10.237		-1.983		0.537		Yes		8/5/25 9:51		RTK		32		1.03		0.55		0.87		9967		-1339		Yes		RTK		3D		1.8		1036		1.388		1.157		0.906		3.615				WME		Water Meter

		UP1272		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1272		8/5/25 9:52		3727'5.6043"N		797'28.6848"W		52.281		201784.171		0		UNKNOWN		14		32768		CLASSIC		PEAK WITH ARROWS		140		13.432		100		1		9		11.144		-1.682		-53.476		Yes		8/5/25 9:52		RTK		32		1.04		0.55		0.88		9954		-1339		Yes		RTK		3D		0.8		1036		0.551		0.394		0.472		1.355				WME		Water Meter

		UP1273		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1273		8/5/25 9:53		3727'3.5075"N		797'30.5093"W		258.54		202042.711		0		UNKNOWN		641		32768		CLASSIC		PEAK WITH ARROWS		140		2.395		100		0		11		10.871		-0.993		42.001		Yes		8/5/25 9:53		RTK		32		1.03		0.55		0.87		9997		-1339		Yes		RTK		3D		1		1036		0.85		0.551		0.591		2.027				WME		Water Meter

		UP1274		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1274		8/5/25 9:55		3727'2.1349"N		797'31.9046"W		178.942		202221.654		0		UNKNOWN		30		32768		CLASSIC		PEAK WITH ARROWS		140		29.312		100		-1		11		15.827		-0.117		18.558		Yes		8/5/25 9:55		RTK		32		0.98		0.54		0.82		10140		-1339		Yes		RTK		3D		0.8		1036		0.551		0.394		0.394		1.355				WME		Water Meter

		UP1275		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1275		8/5/25 9:55		3727'2.1596"N		797'31.8716"W		3.66		202225.313		0		UNKNOWN		538		32768		CLASSIC		PEAK WITH ARROWS		140		1.332		100		0		12		18.217		0.268		-66.084		Yes		8/5/25 9:55		RTK		32		1		0.57		0.82		10142		-1339		Yes		RTK		3D		5.4		1036		1.27		0.551		0.551		2.77				WME		Water Meter

		UP1276		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1276		8/5/25 9:57		3727'1.4590"N		797'32.5652"W		90.401		202315.714		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		2.18		100		0		12		6.647		0.326		-31.518		Yes		8/5/25 9:57		RTK		32		1.04		0.56		0.88		10105		-1339		Yes		RTK		3D		0.6		1036		1.512		1.05		0.748		3.681				WME		Water Meter

		UP1277		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1277		8/5/25 9:58		3727'0.3841"N		797'33.8561"W		150.668		202466.382		0		UNKNOWN		49		32768		CLASSIC		PEAK WITH ARROWS		140		7.031		100		0		11		13.037		-0.682		70.268		Yes		8/5/25 9:58		RTK		32		0.96		0.54		0.8		10003		-1339		Yes		RTK		3D		1		1036		0.433		0.366		0.394		1.134				WME		Water Meter

		UP1278		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1278		8/5/25 9:59		3726'58.6078"N		797'36.8704"W		302.346		202768.728		0		UNKNOWN		29		32768		CLASSIC		PEAK WITH ARROWS		140		10.683		100		0		13		7.971		-0.663		11.783		Yes		8/5/25 9:59		RTK		32		1.05		0.6		0.87		9749		-1339		Yes		RTK		3D		1.2		1036		0.551		0.382		0.394		1.341				WME		Water Meter

		UP1279		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1279		8/5/25 9:59		3726'58.1378"N		797'37.9936"W		102.267		202870.995		0		UNKNOWN		88		32768		CLASSIC		PEAK WITH ARROWS		140		10.672		100		-51		8		12.153		-1.637		46.315		Yes		8/5/25 9:59		RTK		31		1.03		0.57		0.86		9696		-1339		Yes		RTK		3D		1.2		1036		0.394		0.346		0.394		1.049				WME		Water Meter

		UP1280		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1280		8/5/25 10:00		3726'57.5860"N		797'39.0364"W		100.933		202971.928		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		8.585		100		10		7		8.875		0.767		-15.844		Yes		8/5/25 10:00		RTK		31		1.09		0.58		0.92		9626		-1339		Yes		RTK		3D		0.8		1036		1.27		1.05		0.748		3.296				WME		Water Meter

		UP1281		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1281		8/5/25 10:01		3726'57.0395"N		797'40.0551"W		99.015		203070.943		0		UNKNOWN		43		32768		CLASSIC		PEAK WITH ARROWS		140		19.468		100		3		7		7.546		1.554		59.988		Yes		8/5/25 10:01		RTK		32		1.03		0.57		0.85		9568		-1339		Yes		RTK		3D		1		1036		1.388		1.05		0.748		3.481				WME		Water Meter

		UP1282		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1282		8/5/25 10:02		3726'55.4421"N		797'43.4187"W		315.685		203386.628		0		UNKNOWN		779		32768		CLASSIC		PEAK WITH ARROWS		140		2.298		100		-32		9		10.338		0.207		43.546		Yes		8/5/25 10:02		RTK		32		1.02		0.57		0.85		9574		-1339		Yes		RTK		3D		1.4		1036		0.433		0.339		0.394		1.099				WME		Water Meter

		UP1283		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1283		8/5/25 10:03		3726'54.4233"N		797'45.0509"W		167.221		203553.849		0		UNKNOWN		6		32768		CLASSIC		PEAK WITH ARROWS		140		10.222		100		-3		11		13.586		-2.923		-78.947		Yes		8/5/25 10:03		FLOAT RTK		31		1.08		0.59		0.91		9660		-1339		Yes		FLOAT RTK		3D		0.8		1036		9.939		8.467		2.244		26.112				WME		Water Meter

		UP1284		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1284		8/5/25 10:05		3726'53.2921"N		797'47.2359"W		210.098		203763.947		0		UNKNOWN		338		32768		CLASSIC		PEAK WITH ARROWS		140		5.332		100		39		5		12.608		-1.241		40.643		Yes		8/5/25 10:05		RTK		31		1.19		0.63		1.01		9797		-1339		Yes		RTK		3D		0.8		1036		0.948		0.672		0.63		2.323				WME		Water Meter

		UP1285		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1285		8/5/25 10:06		3726'53.0202"N		797'47.7656"W		50.804		203814.751		0		UNKNOWN		130		32768		CLASSIC		PEAK WITH ARROWS		140		44.809		100		-16		10		10.412		-1.849		44.882		Yes		8/5/25 10:06		RTK		32		1.07		0.59		0.89		9814		-1339		Yes		RTK		3D		1.2		1036		0.85		0.672		0.63		2.168				WME		Water Meter

		UP1286		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1286		8/5/25 10:07		3726'52.7996"N		797'48.2114"W		42.309		203857.06		0		UNKNOWN		160		32768		CLASSIC		PEAK WITH ARROWS		140		3.713		100		70		4		12		0.279		83.218		Yes		8/5/25 10:07		RTK		32		1.07		0.59		0.89		9807		-1339		Yes		RTK		3D		1		1036		0.551		0.433		0.394		1.402				WME		Water Meter

		UP1287		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1287		8/5/25 10:08		3726'52.5790"N		797'48.5900"W		37.82		203894.88		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.153		100		55		3		8.018		1.42		-21.245		Yes		8/5/25 10:08		RTK		32		1.06		0.59		0.89		9796		-1339		Yes		RTK		3D		1		1036		1.512		1.157		0.787		3.808				WME		Water Meter

		UP1288		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1288		8/5/25 10:09		3726'50.4456"N		797'51.5912"W		324.468		204219.348		0		UNKNOWN		3		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		0		2		7.534		0.818		-80.238		Yes		8/5/25 10:09		RTK		32		1.04		0.57		0.86		9648		-1339		Yes		RTK		3D		0.8		1036		0.512		0.362		0.394		1.254				WME		Water Meter

		UP1289		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1289		8/5/25 10:10		3726'50.2562"N		797'51.8101"W		26.073		204245.421		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.053		100		-21		3		11.656		-2.845		85.593		Yes		8/5/25 10:10		RTK		32		1.03		0.57		0.86		9649		-1339		Yes		RTK		3D		1		1036		1.157		1.05		0.709		3.125				WME		Water Meter

		UP1290		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1290		8/5/25 10:10		3726'50.4462"N		797'51.5903"W		26.17		204271.591		0		UNKNOWN		473		32768		CLASSIC		PEAK WITH ARROWS		140		37.659		100		0		10		14.6		-0.447		-10.48		Yes		8/5/25 10:10		RTK		32		1.03		0.57		0.86		9644		-1339		Yes		RTK		3D		0.6		1036		0.759		0.512		0.512		1.83				WME		Water Meter

		UP1291		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1291		8/5/25 10:14		3726'43.9254"N		797'58.2038"W		849.34		205120.931		0		UNKNOWN		16		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		-10		8		10.892		1.726		-6.818		Yes		8/5/25 10:14		RTK		32		1.02		0.57		0.84		9267		-1338		Yes		RTK		3D		1.8		1036		3.402		1.64		1.496		7.553				WME		Water Meter

		UP1292		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1292		8/5/25 10:18		3726'42.5971"N		797'59.3484"W		163.268		205284.2		0		UNKNOWN		10		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		4		13		6.331		0.39		-8.473		Yes		8/5/25 10:18		RTK		31		1.06		0.59		0.88		9162		-1338		Yes		RTK		3D		1.2		1036		1.64		1.388		0.866		4.298				WME		Water Meter

		UP1293		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1293		8/5/25 10:19		3726'41.1561"N		798'0.8161"W		188.009		205472.208		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		28.272		100		-7		12		7.337		-2.921		0.583		Yes		8/5/25 10:19		RTK		31		1.14		0.62		0.96		9109		-1338		Yes		RTK		3D		1.4		1036		2.362		1.913		1.024		6.08				WME		Water Meter

		UP1294		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1294		8/5/25 10:21		3726'39.2786"N		798'1.5784"W		200.133		205672.342		0		UNKNOWN		22		32768		CLASSIC		PEAK WITH ARROWS		140		75.004		100		0		7		11.8		1.598		39.76		Yes		8/5/25 10:21		RTK		31		1.05		0.6		0.87		9166		-1338		Yes		RTK		3D		1.6		1036		1.27		1.05		0.709		3.296				WME		Water Meter

		UP1295		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1295		8/5/25 10:24		3726'38.6874"N		798'1.7471"W		61.495		205733.836		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		73.406		100		-4		13		9.925		0.893		14.671		Yes		8/5/25 10:24		RTK		32		1.12		0.62		0.93		9187		-1338		Yes		RTK		3D		0.8		1036		0.551		0.472		0.433		1.452				WME		Water Meter

		UP1296		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1296		8/5/25 10:24		3726'38.7080"N		798'1.7446"W		2.105		205735.941		0		UNKNOWN		23		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		-6		5		17.601		0.988		17.609		Yes		8/5/25 10:24		RTK		32		1.04		0.6		0.85		9188		-1338		Yes		RTK		3D		1.6		1036		0.512		0.433		0.433		1.341				WME		Water Meter

		UP1297		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1297		8/5/25 10:25		3726'37.8739"N		798'1.9713"W		86.569		205822.511		0		UNKNOWN		7		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		1		13		11.968		2.622		35.572		Yes		8/5/25 10:25		RTK		32		1.21		0.66		1.01		9150		-1338		Yes		RTK		3D		1.6		1036		0.433		0.362		0.394		1.129				WME		Water Meter

		UP1298		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1298		8/5/25 10:27		3726'36.9321"N		798'2.4643"W		103.467		205925.978		0		UNKNOWN		104		32768		CLASSIC		PEAK WITH ARROWS		140		59.906		100		36		7		11.572		1.266		-30.995		Yes		8/5/25 10:27		RTK		31		1.25		0.66		1.06		9107		-1338		Yes		RTK		3D		1.8		1036		0.672		0.512		0.551		1.689				WME		Water Meter

		UP1299		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1299		8/5/25 10:37		3726'36.1736"N		798'3.0672"W		90.998		206016.977		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		73.938		100		-2		7		18.696		-3.52		-22.43		Yes		8/5/25 10:37		RTK		31		1.17		0.66		0.96		9042		-1338		Yes		RTK		3D		1		1036		0.386		0.327		0.394		1.011				WME		Water Meter

		UP1300		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1300		8/5/25 10:39		3726'35.9012"N		798'3.2860"W		32.77		206049.746		0		UNKNOWN		8		32768		CLASSIC		PEAK WITH ARROWS		140		93.391		100		0		10		12.713		-0.759		48.665		Yes		8/5/25 10:39		RTK		32		1.16		0.66		0.95		9005		-1338		Yes		RTK		3D		1.4		1036		0.85		0.759		0.591		2.279				WME		Water Meter

		UP1301		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1301		8/5/25 10:47		3726'34.2689"N		798'4.0413"W		176.418		206226.164		0		UNKNOWN		56		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		-4		11		8.208		0.742		-71.034		Yes		8/5/25 10:47		RTK		31		1.16		0.64		0.97		8934		-1338		Yes		RTK		3D		1		1036		0.759		0.591		0.551		1.923				WME		Water Meter

		UP1302		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1302		8/5/25 10:48		3726'35.1242"N		798'3.3002"W		105.314		206331.478		0		UNKNOWN		37		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		-6		11		10.288		-0.218		51.353		Yes		8/5/25 10:48		RTK		31		1.21		0.65		1.01		9021		-1338		Yes		RTK		3D		1.2		1036		0.948		0.591		0.63		2.233				WME		Water Meter

		UP1303		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1303		8/5/25 10:50		3726'35.6079"N		798'2.6271"W		73.13		206404.608		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		67.47		100		-21		9		9.562		-0.123		47.317		Yes		8/5/25 10:50		RTK		32		1.2		0.66		1.01		9098		-1338		Yes		RTK		3D		1.4		1036		0.759		0.551		0.551		1.875				WME		Water Meter

		UP1304		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1304		8/5/25 10:52		3726'38.3105"N		798'1.1892"W		297.634		206702.242		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		15.07		100		8		7		7.18		1.163		-69.702		Yes		8/5/25 10:52		RTK		31		1.19		0.66		1		9117		-1338		Yes		RTK		3D		0.8		1036		2.207		1.512		0.984		5.351				WME		Water Meter

		UP1305		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1305		8/5/25 10:56		3726'43.3200"N		797'57.7673"W		578.14		207280.383		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		51.889		100		1		11		10.462		-2.596		25.234		Yes		8/5/25 10:56		RTK		32		1.18		0.66		0.98		9169		-1338		Yes		RTK		3D		1.2		1036		1.388		0.948		0.709		3.362				WME		Water Meter

		UP1306		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1306		8/5/25 10:58		3726'43.4603"N		797'57.6492"W		17.122		207297.505		0		UNKNOWN		2		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		4		7		12.333		-0.851		5.275		Yes		8/5/25 10:58		RTK		32		1.17		0.66		0.97		9183		-1338		Yes		RTK		3D		1		1036		0.472		0.433		0.394		1.282				WME		Water Meter

		UP1307		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1307		8/5/25 10:58		3726'43.4407"N		797'57.6704"W		2.622		207300.127		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		-4		12		9.02		-0.175		29.774		Yes		8/5/25 10:58		RTK		32		1.17		0.66		0.97		9184		-1338		Yes		RTK		3D		1.8		1036		1.388		1.157		0.748		3.615				WME		Water Meter

		UP1308		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1308		8/5/25 10:59		3726'44.8792"N		797'56.0343"W		196.631		207496.758		0		UNKNOWN		33		32768		CLASSIC		PEAK WITH ARROWS		140		99.498		100		38		7		2.608		2.636		14.418		Yes		8/5/25 10:59		RTK		32		1.06		0.61		0.87		9183		-1338		Yes		RTK		3D		1.2		1036		0.948		0.512		0.512		2.154				WME		Water Meter

		UP1309		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1309		8/5/25 11:01		3726'46.3182"N		797'54.4971"W		191.42		207688.178		0		UNKNOWN		12		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		4		4		11.125		-1.602		5.894		Yes		8/5/25 11:01		RTK		30		1.14		0.65		0.94		9324		-1338		Yes		RTK		3D		0.6		1036		0.551		0.472		0.472		1.452				WME		Water Meter

		UP1310		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1310		8/5/25 11:02		3726'46.5212"N		797'54.3019"W		25.912		207714.09		0		UNKNOWN		30		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		-7		9		3.515		0.295		23.184		Yes		8/5/25 11:02		RTK		32		1.2		0.67		1		9339		-1338		Yes		RTK		3D		0.6		1036		0.85		0.591		0.512		2.071				WME		Water Meter

		UP1311		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1311		8/5/25 11:03		3726'46.7916"N		797'54.0304"W		35.082		207749.172		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		26.236		100		-179		7		10.183		1.209		-18.382		Yes		8/5/25 11:03		RTK		30		1.27		0.7		1.07		9362		-1338		Yes		RTK		3D		0.6		1036		0.759		0.591		0.591		1.923				WME		Water Meter

		UP1312		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1312		8/5/25 11:04		3726'47.4207"N		797'53.6061"W		72.398		207821.57		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		5.668		100		-10		11		10.41		-0.647		-75.579		Yes		8/5/25 11:04		RTK		30		1.27		0.7		1.06		9417		-1338		Yes		RTK		3D		0.8		1036		1.05		0.759		0.63		2.59				WME		Water Meter

		UP1313		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1313		8/5/25 11:06		3726'48.3963"N		797'52.5762"W		129.133		207950.703		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		20.047		100		13		13		6.805		-2.095		49.231		Yes		8/5/25 11:06		RTK		32		1.26		0.7		1.05		9476		-1339		Yes		RTK		3D		1.6		1036		0.759		0.551		0.551		1.875				WME		Water Meter

		UP1314		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1314		8/5/25 11:07		3726'48.8534"N		797'52.4663"W		47.211		207997.915		0		UNKNOWN		189		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		-2		12		10.628		-1.261		-53.383		Yes		8/5/25 11:07		RTK		32		1.17		0.67		0.95		9544		-1339		Yes		RTK		3D		1		1036		0.85		0.512		0.551		1.985				WME		Water Meter

		UP1315		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1315		8/5/25 11:11		3726'49.4483"N		797'51.8618"W		77.546		208075.461		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		13.88		100		-11		10		11.09		-4.125		-11.706		Yes		8/5/25 11:11		FLOAT RTK		30		1.16		0.7		0.92		9554		-1339		Yes		FLOAT RTK		3D		0.8		1036		18.406		11.78		2.323		43.704				WME		Water Meter

		UP1316		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1316		8/5/25 11:16		3726'51.3248"N		797'49.4642"W		271.168		208346.629		0		UNKNOWN		480		32768		CLASSIC		PEAK WITH ARROWS		140		14.569		100		-7		8		10.979		-1.787		-74.244		Yes		8/5/25 11:16		RTK		32		1.12		0.65		0.9		9715		-1339		Yes		RTK		3D		1		1036		0.472		0.366		0.394		1.195				WME		Water Meter

		UP1317		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1317		8/5/25 11:20		3726'52.5011"N		797'47.4310"W		202.626		208549.254		0		UNKNOWN		2		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		-2		13		12.134		0.255		29.648		Yes		8/5/25 11:20		RTK		31		1		0.59		0.81		9790		-1339		Yes		RTK		3D		0.8		1036		0.672		0.551		0.472		1.738				WME		Water Meter

		UP1318		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1318		8/5/25 11:22		3726'53.5171"N		797'45.2971"W		200.409		208749.663		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		30.87		100		9		11		7.47		-0.422		57.759		Yes		8/5/25 11:22		RTK		29		1		0.59		0.81		9643		-1339		Yes		RTK		3D		1		1036		0.85		0.551		0.512		2.027				WME		Water Meter

		UP1319		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1319		8/5/25 11:24		3726'53.9084"N		797'44.4781"W		76.987		208826.651		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		27.742		100		-4		8		14.336		-2.948		1.739		Yes		8/5/25 11:24		FLOAT RTK		32		0.99		0.58		0.8		9562		-1339		Yes		FLOAT RTK		3D		1		1036		4.785		3.497		0.748		11.854				WME		Water Meter

		UP1320		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1320		8/5/25 11:27		3726'56.5120"N		797'40.2105"W		433.486		209260.136		0		UNKNOWN		18		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		0		13		8.431		-5.808		-5.389		Yes		8/5/25 11:27		RTK		31		1.09		0.62		0.89		9572		-1339		Yes		RTK		3D		1.6		1036		1.27		1.05		0.709		3.296				WME		Water Meter

		UP1321		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1321		8/5/25 11:28		3726'56.8624"N		797'39.2815"W		82.835		209342.971		0		UNKNOWN		54		32768		CLASSIC		PEAK WITH ARROWS		140		78.916		100		2		10		7.264		-1.353		-9.441		Yes		8/5/25 11:28		RTK		31		1.09		0.62		0.89		9608		-1339		Yes		RTK		3D		0.6		1036		0.672		0.551		0.512		1.738				WME		Water Meter

		UP1322		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1322		8/5/25 11:29		3726'57.3482"N		797'38.3722"W		88.282		209431.254		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		5.376		100		-7		8		8.845		-0.177		86.62		Yes		8/5/25 11:29		RTK		32		1.08		0.62		0.89		9652		-1339		Yes		RTK		3D		0.6		1036		1.64		1.27		0.748		4.15				WME		Water Meter

		UP1323		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1323		8/5/25 11:30		3726'57.9297"N		797'37.1697"W		113.394		209544.648		0		UNKNOWN		1		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		2		11		15.186		-1.173		-44.054		Yes		8/5/25 11:30		RTK		31		1.08		0.62		0.89		9724		-1339		Yes		RTK		3D		1.6		1036		0.378		0.339		0.394		1.015				WME		Water Meter

		UP1324		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1324		8/5/25 11:30		3726'57.9187"N		797'37.1898"W		1.963		209546.611		0		UNKNOWN		76		32768		CLASSIC		PEAK WITH ARROWS		140		26.195		100		0		11		16.421		1.286		85.375		Yes		8/5/25 11:30		RTK		31		1.08		0.62		0.89		9726		-1339		Yes		RTK		3D		1.2		1036		0.672		0.512		0.472		1.689				WME		Water Meter

		UP1325		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1325		8/5/25 11:32		3726'58.8965"N		797'35.0757"W		197.06		209743.671		0		UNKNOWN		3		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		5		9		8.393		-3.715		-29.76		Yes		8/5/25 11:32		RTK		31		1.08		0.62		0.88		9896		-1339		Yes		RTK		3D		1.4		1036		0.672		0.512		0.472		1.689				WME		Water Meter

		UP1326		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1326		8/5/25 11:33		3726'59.6384"N		797'33.8477"W		124.282		209867.954		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		82.034		100		2		11		9.598		2.924		-56.785		Yes		8/5/25 11:33		RTK		32		1.03		0.6		0.84		9958		-1339		Yes		RTK		3D		1.2		1036		0.948		0.759		0.591		2.427				WME		Water Meter

		UP1327		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1327		8/5/25 11:33		3726'59.9957"N		797'33.3512"W		53.974		209921.928		0		UNKNOWN		12		32768		CLASSIC		PEAK WITH ARROWS		140		96.935		100		3		9		3.646		0.507		-18.877		Yes		8/5/25 11:33		RTK		31		1.03		0.6		0.84		10000		-1339		Yes		RTK		3D		1		1036		1.512		0.948		0.709		3.568				WME		Water Meter

		UP1328		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1328		8/5/25 11:35		3727'1.3056"N		797'31.7502"W		185.166		210107.094		0		UNKNOWN		3		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		-2		8		10.403		0.673		21.166		Yes		8/5/25 11:35		RTK		31		1.11		0.63		0.91		10108		-1339		Yes		RTK		3D		1		1036		2.207		1.388		0.827		5.215				WME		Water Meter

		UP1329		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1329		8/5/25 11:36		3727'1.8415"N		797'31.2395"W		68.173		210175.267		0		UNKNOWN		18		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		23		6		10.493		0.894		-1.747		Yes		8/5/25 11:36		RTK		32		1.03		0.6		0.84		10105		-1339		Yes		RTK		3D		1.4		1036		0.85		0.672		0.591		2.168				WME		Water Meter

		UP1330		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1330		8/5/25 11:37		3727'2.4528"N		797'30.4698"W		87.689		210262.955		0		UNKNOWN		94		32768		CLASSIC		PEAK WITH ARROWS		140		28.768		100		3		6		6.009		-1.934		60.635		Yes		8/5/25 11:37		RTK		32		1.03		0.59		0.84		10047		-1339		Yes		RTK		3D		1.4		1036		1.157		0.759		0.669		2.768				WME		Water Meter

		UP1331		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1331		8/5/25 11:39		3727'3.6378"N		797'29.2542"W		155.043		210417.999		0		UNKNOWN		3		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		-1		11		8.595		0.078		20.251		Yes		8/5/25 11:39		RTK		32		1.02		0.59		0.83		9932		-1339		Yes		RTK		3D		0.6		1036		0.512		0.472		0.394		1.393				WME		Water Meter

		UP1332		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1332		8/7/25 10:16		3727'10.0841"N		797'21.0949"W		927.096		211345.095		0		UNKNOWN		3		32768		CLASSIC		PEAK WITH ARROWS		140		18.265		100		-1		7		8.718		-1.922		-30.547		Yes		8/7/25 10:16		RTK		32		1.22		0.62		1.05		10219		-1339		Yes		RTK		3D		1.2		2534		0.512		0.394		0.472		1.291				WME		Water Meter

		UP1333		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1333		8/7/25 10:47		3726'52.2123"N		797'16.4209"W		1851.77		213196.865		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		4.189		100		-27		6		53.714		23.676		3.93		Yes		8/7/25 10:47		RTK		31		1.12		0.58		0.95		9859		-1339		Yes		RTK		3D		1.2		2593		0.85		0.672		0.551		2.168				WME		Water Meter

		UP1334		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1334		8/7/25 10:48		3726'51.9188"N		797'17.2482"W		72.984		213269.848		0		UNKNOWN		279		32768		CLASSIC		PEAK WITH ARROWS		140		5.723		100		11		3		13.731		0.365		-71.18		Yes		8/7/25 10:48		RTK		30		1.11		0.58		0.95		9837		-1339		Yes		RTK		3D		1		2593		2.207		1.64		0.906		5.5				WME		Water Meter

		UP1335		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1335		8/7/25 10:51		3726'53.1675"N		797'18.2384"W		149.696		213419.545		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.641		100		-3		9		9.951		-1.447		77.487		Yes		8/7/25 10:51		RTK		28		1.11		0.58		0.94		9863		-1339		Yes		RTK		3D		0.6		2593		0.591		0.512		0.394		1.563				WME		Water Meter

		UP1336		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1336		8/7/25 10:52		3726'54.9818"N		797'19.7314"W		219.862		213639.406		0		UNKNOWN		4		32768		CLASSIC		PEAK WITH ARROWS		140		11.529		100		-5		10		10.946		-1.612		46.582		Yes		8/7/25 10:52		RTK		28		1.1		0.58		0.94		9856		-1339		Yes		RTK		3D		0.8		2593		0.472		0.433		0.394		1.282				WME		Water Meter

		UP1337		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1337		8/7/25 10:52		3726'55.0029"N		797'19.7473"W		2.495		213641.901		0		UNKNOWN		34		32768		CLASSIC		PEAK WITH ARROWS		140		3.504		100		11		8		13.509		0.73		32.59		Yes		8/7/25 10:52		RTK		28		1.1		0.58		0.94		9854		-1339		Yes		RTK		3D		1.8		2593		0.386		0.354		0.394		1.048				WME		Water Meter

		UP1338		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1338		8/7/25 10:57		3726'54.6586"N		797'20.5032"W		70.193		213712.094		0		UNKNOWN		143		32768		CLASSIC		PEAK WITH ARROWS		140		22.43		100		-20		10		5.432		0.956		-54.228		Yes		8/7/25 10:57		RTK		30		1.12		0.59		0.95		9806		-1339		Yes		RTK		3D		1.2		2593		2.858		1.27		0.945		6.256				WME		Water Meter

		UP1339		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1339		8/7/25 10:58		3726'53.8389"N		797'19.2193"W		132.691		213844.785		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.237		100		0		10		12.557		-0.63		47.507		Yes		8/7/25 10:58		RTK		31		1.14		0.59		0.97		9821		-1339		Yes		RTK		3D		1		2593		1.913		0.85		0.709		4.188				WME		Water Meter

		UP1340		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1340		8/7/25 11:00		3726'51.9267"N		797'16.3947"W		298.982		214143.767		0		UNKNOWN		26		32768		CLASSIC		PEAK WITH ARROWS		140		6.096		100		-73		7		11.47		-3.493		50.378		Yes		8/7/25 11:00		RTK		32		1.13		0.59		0.96		9844		-1339		Yes		RTK		3D		1.2		2593		0.472		0.394		0.394		1.23				WME		Water Meter

		UP1341		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1341		8/7/25 11:05		3726'51.9579"N		797'13.5520"W		228.979		214372.746		0		UNKNOWN		15		32768		CLASSIC		PEAK WITH ARROWS		140		63.927		100		3		3		13.149		-0.207		81.299		Yes		8/7/25 11:05		RTK		30		1.01		0.55		0.85		9857		-1339		Yes		RTK		3D		1		2593		0.374		0.327		0.394		0.993				WME		Water Meter

		UP1342		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1342		8/7/25 11:07		3726'50.6368"N		797'12.4833"W		159.293		214532.04		0		UNKNOWN		13		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		-5		9		11.077		-1.641		-18.924		Yes		8/7/25 11:07		RTK		31		1		0.55		0.84		9852		-1339		Yes		RTK		3D		0.8		2593		0.759		0.591		0.472		1.923				WME		Water Meter

		UP1343		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1343		8/7/25 11:23		3726'40.6248"N		797'14.6794"W		1031.002		215563.042		0		UNKNOWN		605		32768		CLASSIC		PEAK WITH ARROWS		140		15.276		100		10		10		9.555		0.803		8.45		Yes		8/7/25 11:23		RTK		32		0.94		0.54		0.77		9950		-1339		Yes		RTK		3D		0.6		2593		2.058		1.774		0.787		5.434				WME		Water Meter

		UP1344		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1344		8/7/25 11:24		3726'40.7818"N		797'16.2113"W		124.413		215687.455		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.493		100		-7		10		13.2		-3.375		-70.238		Yes		8/7/25 11:24		RTK		32		1.05		0.58		0.88		9905		-1339		Yes		RTK		3D		1.2		2593		1.774		1.27		0.709		4.364				WME		Water Meter

		UP1345		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1345		8/7/25 11:26		3726'41.1451"N		797'20.1814"W		321.892		216009.347		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.15		100		4		12		15.562		-1.755		-45.983		Yes		8/7/25 11:26		RTK		31		0.97		0.56		0.79		9886		-1339		Yes		RTK		3D		1.2		2593		1.05		0.591		0.512		2.409				WME		Water Meter

		UP1346		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1346		8/7/25 11:27		3726'41.3253"N		797'21.5207"W		109.411		216118.758		0		UNKNOWN		143		32768		CLASSIC		PEAK WITH ARROWS		140		15.225		100		-36		5		9.801		3.849		-76.939		Yes		8/7/25 11:27		RTK		31		0.92		0.54		0.75		9893		-1339		Yes		RTK		3D		1.2		2593		0.85		0.551		0.472		2.027				WME		Water Meter

		UP1347		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1347		8/7/25 11:28		3726'41.4015"N		797'22.4841"W		77.983		216196.741		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.166		100		-3		11		9.992		-2.997		71.181		Yes		8/7/25 11:28		RTK		31		0.92		0.54		0.74		9874		-1339		Yes		RTK		3D		1.6		2593		1.388		0.85		0.63		3.256				WME		Water Meter

		UP1348		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1348		8/7/25 11:29		3726'41.6245"N		797'23.9391"W		119.358		216316.099		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		11.381		100		-23		4		11.979		2.248		-80.974		Yes		8/7/25 11:29		RTK		32		0.92		0.54		0.74		9812		-1339		Yes		RTK		3D		1.2		2593		0.948		0.759		0.512		2.427				WME		Water Meter

		UP1349		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1349		8/7/25 11:30		3726'41.8130"N		797'26.2806"W		189.564		216505.663		0		UNKNOWN		32		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		5		5		16.704		-1.256		1.415		Yes		8/7/25 11:30		RTK		32		1.05		0.59		0.86		9644		-1339		Yes		RTK		3D		0.4		2593		0.948		0.948		0.551		2.68				WME		Water Meter

		UP1350		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1350		8/7/25 11:30		3726'41.9631"N		797'27.4635"W		96.479		216602.142		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.232		100		55		8		14.053		0.358		68.518		Yes		8/7/25 11:30		RTK		32		1.05		0.59		0.86		9516		-1339		Yes		RTK		3D		1.2		2593		0.551		0.512		0.433		1.504				WME		Water Meter

		UP1351		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1351		8/7/25 11:40		3726'41.5443"N		797'27.3275"W		43.875		216646.017		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.513		100		-26		11		11.19		4.528		-18.154		Yes		8/7/25 11:40		RTK		31		0.98		0.58		0.79		9549		-1339		Yes		RTK		3D		0.6		2593		1.512		1.27		0.787		3.949				WME		Water Meter

		UP1352		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1352		8/7/25 11:40		3726'41.5355"N		797'27.4102"W		6.72		216652.738		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.003		100		42		10		9.272		1.107		-18.751		Yes		8/7/25 11:40		RTK		31		0.98		0.58		0.79		9541		-1339		Yes		RTK		3D		1.6		2593		1.388		1.157		0.669		3.615				WME		Water Meter

		UP1353		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1353		8/7/25 11:40		3726'41.5027"N		797'27.3613"W		5.161		216657.899		0		UNKNOWN		281		32768		CLASSIC		PEAK WITH ARROWS		140		10.525		100		-56		13		13.628		-6.256		-51.83		Yes		8/7/25 11:40		RTK		30		1.06		0.62		0.87		9547		-1339		Yes		RTK		3D		1.6		2593		0.551		0.512		0.433		1.504				WME		Water Meter

		UP1354		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1354		8/7/25 11:40		3726'41.4804"N		797'27.2861"W		6.467		216664.366		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.528		100		29		7		15.479		1.274		84.886		Yes		8/7/25 11:40		RTK		30		1.13		0.64		0.93		9555		-1339		Yes		RTK		3D		1.4		2593		0.948		0.672		0.591		2.323				WME		Water Meter

		UP1355		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1355		8/7/25 11:43		3726'41.0783"N		797'23.3808"W		317.189		216981.554		0		UNKNOWN		3391		32768		CLASSIC		PEAK WITH ARROWS		140		7.51		100		16		6		12.899		1.585		39.049		Yes		8/7/25 11:43		RTK		31		1.1		0.64		0.89		9856		-1339		Yes		RTK		3D		1.2		2593		1.512		0.472		0.551		3.168				WME		Water Meter

		UP1356		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1356		8/7/25 11:45		3726'41.0200"N		797'22.0015"W		111.253		217092.807		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		2.895		100		7		12		14.462		-1.185		-41.565		Yes		8/7/25 11:45		RTK		30		1.1		0.64		0.89		9907		-1339		Yes		RTK		3D		1.4		2593		1.512		1.27		0.748		3.949				WME		Water Meter

		UP1357		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1357		8/7/25 11:45		3726'40.9055"N		797'21.3814"W		51.28		217144.087		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		1.055		100		-27		7		13.077		2.776		79.449		Yes		8/7/25 11:45		RTK		31		1.15		0.65		0.95		9918		-1339		Yes		RTK		3D		1		2593		1.27		0.85		0.669		3.057				WME		Water Meter

		UP1358		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1358		8/7/25 11:46		3726'40.8039"N		797'20.1502"W		99.704		217243.791		0		UNKNOWN		130		32768		CLASSIC		PEAK WITH ARROWS		140		15.695		100		80		11		9.847		-2.514		-35.866		Yes		8/7/25 11:46		RTK		31		1.15		0.65		0.94		9921		-1339		Yes		RTK		3D		1		2593		0.551		0.512		0.433		1.504				WME		Water Meter

		UP1359		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1359		8/7/25 11:47		3726'40.6019"N		797'18.5373"W		131.513		217375.305		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.524		100		-13		11		11.12		-3.918		-70.502		Yes		8/7/25 11:47		RTK		31		1.15		0.65		0.94		9903		-1339		Yes		RTK		3D		1.2		2593		1.512		0.759		0.669		3.383				WME		Water Meter

		UP1360		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1360		8/7/25 11:48		3726'40.4813"N		797'17.6837"W		69.84		217445.145		0		UNKNOWN		11		32768		CLASSIC		PEAK WITH ARROWS		140		41.809		100		5		10		9.864		1.847		32.68		Yes		8/7/25 11:48		RTK		31		1.05		0.61		0.85		9915		-1339		Yes		RTK		3D		0.6		2593		1.774		1.388		0.748		4.506				WME		Water Meter

		UP1361		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1361		8/7/25 11:48		3726'40.3418"N		797'16.1146"W		127.17		217572.315		0		UNKNOWN		518		32768		CLASSIC		PEAK WITH ARROWS		140		3.32		100		2		10		11.532		2.085		-82.855		Yes		8/7/25 11:48		RTK		31		1.14		0.65		0.94		9947		-1339		Yes		RTK		3D		1.2		2593		0.433		0.394		0.394		1.171				WME		Water Meter

		UP1362		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1362		8/7/25 12:10		3726'36.9668"N		797'17.9108"W		371.705		217944.02		0		UNKNOWN		8		32768		CLASSIC		PEAK WITH ARROWS		140		36.835		100		0		12		13.448		-0.632		1.751		Yes		8/7/25 12:10		GPS SPS VALID		22		0.98		0.6		0.78		9977		-1339		Yes		AUTONOMOUS		3D		0		0		433.071		368.11		311.024		1136.76				WME		Water Meter

		UP1363		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1363		8/7/25 12:10		3726'36.8945"N		797'17.9784"W		9.138		217953.158		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		4.202		100		2		6		44.484		16.456		-41.931		Yes		8/7/25 12:10		GPS SPS VALID		28		0.86		0.52		0.68		10127		-1339		Yes		AUTONOMOUS		3D		0		0		112.598		95.276		82.677		294.997				WME		Water Meter

		UP1364		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1364		8/7/25 12:10		3726'36.8846"N		797'17.9236"W		4.528		217957.686		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.629		100		5		4		53.051		38.713		-39.614		Yes		8/7/25 12:10		GPS SPS VALID		28		0.86		0.52		0.68		9973		-1339		Yes		AUTONOMOUS		3D		0		0		86.614		69.291		62.992		221.841				WME		Water Meter

		UP1365		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1365		8/7/25 12:10		3726'36.8720"N		797'17.9044"W		2.008		217959.693		0		UNKNOWN		57		32768		CLASSIC		PEAK WITH ARROWS		140		2.99		100		0		7		52.172		33.535		-77.451		Yes		8/7/25 12:10		GPS SPS VALID		27		0.89		0.54		0.71		9858		-1339		Yes		AUTONOMOUS		3D		0		0		64.961		51.969		47.244		166.38				WME		Water Meter

		UP1366		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1366		8/7/25 12:10		3726'36.8676"N		797'17.9254"W		1.749		217961.442		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		14.233		100		5		9		14.244		-4.028		-61.4		Yes		8/7/25 12:10		GPS SPS VALID		28		0.86		0.52		0.68		9816		-1339		Yes		AUTONOMOUS		3D		0		0		47.638		41.575		37.008		126.457				WME		Water Meter

		UP1367		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1367		8/7/25 12:10		3726'36.8620"N		797'17.9154"W		0.985		217962.427		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		13.039		100		-5		4		63.356		9.618		64.416		Yes		8/7/25 12:10		GPS SPS VALID		28		0.86		0.52		0.68		9806		-1339		Yes		AUTONOMOUS		3D		0		0		43.307		38.543		33.858		115.95				WME		Water Meter

		UP1368		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1368		8/7/25 12:11		3726'36.5673"N		797'18.2352"W		39.462		218001.889		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.631		100		-1		5		53.406		71.652		40.863		Yes		8/7/25 12:11		GPS SPS VALID		28		0.86		0.52		0.68		9659		-1339		Yes		AUTONOMOUS		3D		0		0		35.512		33.78		27.165		98.023				WME		Water Meter

		UP1369		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1369		8/7/25 12:11		3726'36.4647"N		797'18.2212"W		10.466		218012.355		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.884		100		12		7		45.393		21.496		-77.225		Yes		8/7/25 12:11		GPS SPS VALID		28		0.86		0.52		0.68		9795		-1339		Yes		AUTONOMOUS		3D		0		0		103.937		90.945		78.74		276.216				WME		Water Meter

		UP1370		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1370		8/7/25 12:12		3726'36.5149"N		797'18.2251"W		5.097		218017.451		0		UNKNOWN		4		32768		CLASSIC		PEAK WITH ARROWS		140		14.34		100		2		7		53.049		52.463		-24.343		Yes		8/7/25 12:12		GPS SPS VALID		28		0.86		0.52		0.68		9677		-1339		Yes		AUTONOMOUS		3D		0		0		60.63		51.969		47.244		159.709				WME		Water Meter

		UP1371		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1371		8/7/25 12:12		3726'36.5191"N		797'18.2261"W		0.434		218017.886		0		UNKNOWN		32		32768		CLASSIC		PEAK WITH ARROWS		140		5.8		100		-3		6		51.35		41.901		67.659		Yes		8/7/25 12:12		GPS SPS VALID		28		0.86		0.52		0.68		9656		-1339		Yes		AUTONOMOUS		3D		0		0		56.299		47.638		43.307		147.499				WME		Water Meter

		UP1372		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1372		8/7/25 12:12		3726'36.7937"N		797'17.8465"W		41.362		218059.248		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.366		100		-34		7		43.338		11.262		-0.37		Yes		8/7/25 12:13		RTK		28		1.35		0.74		1.13		9732		-1339		Yes		RTK		3D		1.4		2701		0.591		0.512		0.472		1.563				WME		Water Meter

		UP1373		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1373		8/7/25 12:14		3726'36.9042"N		797'18.9400"W		88.784		218148.032		0		UNKNOWN		12		32768		CLASSIC		PEAK WITH ARROWS		140		14.156		100		2		10		22.695		-0.652		38.997		Yes		8/7/25 12:14		RTK		29		1.13		0.65		0.92		9705		-1339		Yes		RTK		3D		0.4		2701		0.672		0.551		0.551		1.738				WME		Water Meter

		UP1374		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1374		8/7/25 12:16		3726'37.0204"N		797'20.7028"W		142.482		218290.514		0		UNKNOWN		131		32768		CLASSIC		PEAK WITH ARROWS		140		4.209		100		-18		7		10.73		-3.358		-0.6		Yes		8/7/25 12:16		RTK		30		1.33		0.73		1.11		9744		-1339		Yes		RTK		3D		0.6		2701		0.472		0.394		0.394		1.23				WME		Water Meter

		UP1375		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1375		8/7/25 12:16		3726'37.0263"N		797'20.7354"W		2.691		218293.205		0		UNKNOWN		42		32768		CLASSIC		PEAK WITH ARROWS		140		4.127		100		20		10		17.726		-4.033		-37.447		Yes		8/7/25 12:16		RTK		30		1.12		0.65		0.91		9745		-1339		Yes		RTK		3D		0.8		2701		0.433		0.433		0.394		1.225				WME		Water Meter

		UP1376		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1376		8/7/25 12:17		3726'37.3854"N		797'22.6484"W		158.332		218451.537		0		UNKNOWN		38		32768		CLASSIC		PEAK WITH ARROWS		140		11.649		100		-18		5		16.047		-0.54		13.261		Yes		8/7/25 12:17		RTK		30		1.27		0.71		1.06		9756		-1339		Yes		RTK		3D		1.2		2701		1.512		1.05		0.709		3.681				WME		Water Meter

		UP1377		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1377		8/7/25 12:18		3726'37.4601"N		797'23.6451"W		80.642		218532.179		0		UNKNOWN		36		32768		CLASSIC		PEAK WITH ARROWS		140		10.464		100		13		7		13.551		-1.298		-56.714		Yes		8/7/25 12:18		RTK		30		1.32		0.72		1.1		9696		-1339		Yes		RTK		3D		1.4		2701		1.913		1.388		0.945		4.728				WME		Water Meter

		UP1378		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1378		8/7/25 12:20		3726'37.7720"N		797'25.3695"W		142.448		218674.627		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		5.582		100		100		3		11.435		0.163		-83.327		Yes		8/7/25 12:20		RTK		29		1.38		0.73		1.17		9591		-1339		Yes		RTK		3D		1		2701		1.64		1.512		0.827		4.462				WME		Water Meter

		UP1379		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1379		8/7/25 12:21		3726'36.9931"N		797'23.5750"W		164.727		218839.354		0		UNKNOWN		12		32768		CLASSIC		PEAK WITH ARROWS		140		24.991		100		-11		5		11.231		5.703		54.631		Yes		8/7/25 12:21		RTK		28		1.38		0.73		1.17		9664		-1339		Yes		RTK		3D		0.8		2701		0.591		0.512		0.433		1.563				WME		Water Meter

		UP1380		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1380		8/7/25 12:21		3726'36.9457"N		797'23.3765"W		16.697		218856.051		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		4.17		100		5		13		10.69		-0.688		-81.756		Yes		8/7/25 12:21		RTK		28		1.37		0.73		1.17		9675		-1339		Yes		RTK		3D		0.8		2701		1.27		0.85		0.669		3.057				WME		Water Meter

		UP1381		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1381		8/7/25 12:25		3726'36.0537"N		797'21.7298"W		160.569		219016.62		0		UNKNOWN		55		32768		CLASSIC		PEAK WITH ARROWS		140		4.446		100		-22		9		14.892		0.806		33.763		Yes		8/7/25 12:25		RTK		27		1.21		0.67		1.01		9620		-1339		Yes		RTK		3D		0.8		2701		1.05		0.551		0.512		2.372				WME		Water Meter

		UP1382		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1382		8/7/25 12:29		3726'36.1521"N		797'18.8440"W		232.654		219249.274		0		UNKNOWN		29		32768		CLASSIC		PEAK WITH ARROWS		140		15.809		100		8		5		13.983		2.051		-11.69		Yes		8/7/25 12:29		RTK		29		1.23		0.66		1.03		9630		-1339		Yes		RTK		3D		1		2701		0.472		0.343		0.394		1.167				WME		Water Meter

		UP1383		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1383		8/7/25 12:29		3726'36.1390"N		797'18.8234"W		2.123		219251.397		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		0.13		100		-4		9		16.479		0.719		-40.055		Yes		8/7/25 12:29		RTK		29		1.23		0.66		1.03		9631		-1339		Yes		RTK		3D		1.6		2701		0.433		0.378		0.394		1.15				WME		Water Meter

		UP1384		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1384		8/7/25 14:12		3726'34.2219"N		796'59.7108"W		1551.706		220803.103		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.053		100		-3		8		11.073		2.425		-84.714		Yes		8/7/25 14:12		FLOAT RTK		31		1.01		0.55		0.85		9553		-1339		Yes		FLOAT RTK		3D		1		2896		3.497		2.577		0.512		8.688				WME		Water Meter

		UP1385		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1385		8/7/25 14:14		3726'34.6946"N		796'56.8332"W		236.695		221039.798		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		4.253		100		0		12		11.61		2.522		-43.151		Yes		8/7/25 14:14		RTK		32		1.03		0.55		0.87		9223		-1339		Yes		RTK		3D		1.2		2896		1.27		1.05		0.748		3.296				WME		Water Meter

		UP1386		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1386		8/7/25 14:19		3726'35.3399"N		796'53.0860"W		308.839		221348.637		0		UNKNOWN		5		32768		CLASSIC		PEAK WITH ARROWS		140		7.176		100		-1		10		8.904		-0.235		55.448		Yes		8/7/25 14:19		RTK		32		1.03		0.57		0.86		9065		-1339		Yes		RTK		3D		1		2896		1.27		0.85		0.669		3.057				WME		Water Meter

		UP1387		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1387		8/7/25 14:59		3726'34.0468"N		797'21.5965"W		2300.188		223648.825		0		UNKNOWN		102		32768		CLASSIC		PEAK WITH ARROWS		140		31.391		100		-6		7		11.594		-3.168		30.269		Yes		8/7/25 14:59		RTK		31		1.27		0.67		1.08		9449		-1339		Yes		RTK		3D		1		2896		0.672		0.35		0.433		1.516				WME		Water Meter

		UP1388		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1388		8/7/25 15:01		3726'33.8507"N		797'20.5164"W		89.246		223738.071		0		UNKNOWN		12		32768		CLASSIC		PEAK WITH ARROWS		140		20.518		100		-8		9		14.308		-2.777		81.087		Yes		8/7/25 15:01		RTK		31		1.27		0.67		1.07		9559		-1339		Yes		RTK		3D		1.4		2896		1.27		0.551		0.709		2.77				WME		Water Meter

		UP1389		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1389		8/7/25 15:04		3726'33.2036"N		797'17.6126"W		242.933		223981.003		0		UNKNOWN		4		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		-15		5		9.25		-3.14		40.621		Yes		8/7/25 15:04		RTK		32		1.23		0.6		1.08		9753		-1339		Yes		RTK		3D		2.2		2896		1.774		0.759		0.945		3.859				WME		Water Meter

		UP1390		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1390		8/7/25 15:10		3726'33.0850"N		797'16.5979"W		82.612		224063.616		0		UNKNOWN		330		32768		CLASSIC		PEAK WITH ARROWS		140		65.059		100		8		10		13.186		-1.948		-22.368		Yes		8/7/25 15:10		RTK		31		1.39		0.67		1.22		9819		-1339		Yes		RTK		3D		1		2896		1.157		0.472		0.748		2.5				WME		Water Meter

		UP1391		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1391		8/7/25 15:17		3726'33.0061"N		797'15.2698"W		107.277		224170.893		0		UNKNOWN		8		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		0		6		16.211		0.551		16.348		Yes		8/7/25 15:17		RTK		32		1.3		0.66		1.12		9861		-1339		Yes		RTK		3D		1.6		2896		0.85		0.512		0.748		1.985				WME		Water Meter

		UP1392		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1392		8/7/25 15:20		3726'32.7421"N		797'16.2754"W		85.314		224256.206		0		UNKNOWN		4		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		-14		7		5.913		0.224		-45.406		Yes		8/7/25 15:20		RTK		31		1.28		0.65		1.1		9814		-1339		Yes		RTK		3D		0.6		2896		0.472		0.331		0.512		1.153				WME		Water Meter

		UP1393		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1393		8/7/25 15:25		3726'32.8971"N		797'17.8487"W		127.699		224383.906		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		47.827		100		0		13		9.004		2.968		9.139		Yes		8/7/25 15:25		RTK		32		1.17		0.59		1.01		9741		-1339		Yes		RTK		3D		2		2896		0.512		0.303		0.394		1.19				WME		Water Meter

		UP1394		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1394		8/7/25 15:28		3726'32.4203"N		797'18.4789"W		70.121		224454.027		0		UNKNOWN		22		32768		CLASSIC		PEAK WITH ARROWS		140		75.172		100		0		12		11.632		-2.781		76.843		Yes		8/7/25 15:28		RTK		32		1.19		0.62		1.02		9691		-1339		Yes		RTK		3D		1		2896		0.759		0.472		0.591		1.787				WME		Water Meter

		UP1395		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1395		8/7/25 15:35		3726'29.0686"N		797'19.1119"W		343.837		224797.864		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		2		8		13.175		-2.507		29.829		Yes		8/7/25 15:35		RTK		32		1.16		0.57		1.01		9614		-1339		Yes		RTK		3D		0.8		2896		0.672		0.472		0.63		1.643				WME		Water Meter

		UP1396		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1396		8/7/25 15:36		3726'28.0536"N		797'19.7882"W		116.489		224914.352		0		UNKNOWN		3		32768		CLASSIC		PEAK WITH ARROWS		140		96.943		100		0		12		6.185		-2.657		-3.875		Yes		8/7/25 15:37		RTK		32		1.19		0.57		1.04		9588		-1339		Yes		RTK		3D		1.4		2896		0.591		0.433		0.551		1.465				WME		Water Meter

		UP1397		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1397		8/7/25 15:38		3726'27.1950"N		797'19.6341"W		87.991		225002.343		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		1		7		9.694		0.403		-5.428		Yes		8/7/25 15:38		RTK		32		1.1		0.54		0.95		9546		-1339		Yes		RTK		3D		1.6		2896		1.27		0.672		0.709		2.874				WME		Water Meter

		UP1398		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1398		8/7/25 15:38		3726'27.1750"N		797'19.6368"W		2.042		225004.385		0		UNKNOWN		16		32768		CLASSIC		PEAK WITH ARROWS		140		70.121		100		-184		8		15.065		0.187		-34.925		Yes		8/7/25 15:38		RTK		32		1.1		0.54		0.95		9545		-1339		Yes		RTK		3D		2.8		2896		1.388		0.759		0.787		3.164				WME		Water Meter

		UP1399		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1399		8/7/25 15:38		3726'27.1698"N		797'19.6572"W		1.722		225006.107		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		6.086		100		2		11		10.518		0.903		-73.119		Yes		8/7/25 15:38		RTK		32		1.1		0.54		0.95		9542		-1339		Yes		RTK		3D		2.2		2896		0.759		0.472		0.551		1.787				WME		Water Meter

		UP1400		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1400		8/7/25 15:38		3726'27.1524"N		797'19.6585"W		1.778		225007.885		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		8.83		100		0		7		10.534		1.309		-76.669		Yes		8/7/25 15:38		RTK		32		1.1		0.54		0.95		9543		-1339		Yes		RTK		3D		1.4		2896		1.157		0.551		0.709		2.564				WME		Water Meter

		UP1401		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1401		8/7/25 15:43		3726'30.1986"N		797'18.1327"W		332.581		225340.466		0		UNKNOWN		5		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		-3		12		10.196		4.536		-21.624		Yes		8/7/25 15:43		RTK		32		1.05		0.52		0.91		9557		-1339		Yes		RTK		3D		1		2896		0.591		0.394		0.512		1.42				WME		Water Meter

		UP1402		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1402		8/7/25 15:45		3726'33.3470"N		797'20.3894"W		367.513		225707.979		0		UNKNOWN		71		32768		CLASSIC		PEAK WITH ARROWS		140		38.932		100		3		7		8.499		-0.761		64.577		Yes		8/7/25 15:45		RTK		32		1.06		0.55		0.91		9590		-1339		Yes		RTK		3D		1.2		2896		0.591		0.35		0.472		1.373				WME		Water Meter

		UP1403		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1403		8/7/25 15:48		3726'33.7768"N		797'22.6079"W		183.939		225891.918		0		UNKNOWN		20		32768		CLASSIC		PEAK WITH ARROWS		140		59.005		100		0		12		24.906		-0.25		0.419		Yes		8/7/25 15:48		RTK		32		1.04		0.52		0.9		9382		-1339		Yes		RTK		3D		1.2		2896		0.672		0.512		0.63		1.689				WME		Water Meter

		UP1404		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1404		8/7/25 15:48		3726'33.7841"N		797'22.6341"W		2.234		225894.152		0		UNKNOWN		21		32768		CLASSIC		PEAK WITH ARROWS		140		69.194		100		1		6		35.501		-0.059		42.076		Yes		8/7/25 15:48		RTK		32		1.04		0.52		0.9		9381		-1339		Yes		RTK		3D		0.6		2896		0.591		0.472		0.512		1.513				WME		Water Meter

		UP1405		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1405		8/7/25 15:50		3726'33.8176"N		797'24.1787"W		124.463		226018.615		0		UNKNOWN		12		32768		CLASSIC		PEAK WITH ARROWS		140		59.524		100		-20		6		12.904		0.968		0.371		Yes		8/7/25 15:50		RTK		32		1.01		0.49		0.88		9246		-1339		Yes		RTK		3D		1		2896		0.672		0.394		0.512		1.558				WME		Water Meter

		UP1406		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1406		8/7/25 15:50		3726'33.9435"N		797'25.3372"W		94.181		226112.796		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		71.333		100		0		11		11.564		-2.119		-68.598		Yes		8/7/25 15:51		RTK		32		1.12		0.57		0.96		9174		-1339		Yes		RTK		3D		0.8		2896		1.774		0.591		0.787		3.74				WME		Water Meter

		UP1407		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1407		8/7/25 15:51		3726'33.9473"N		797'25.3630"W		2.121		226114.916		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		7		11		14.531		-1.445		16.697		Yes		8/7/25 15:51		RTK		32		1.09		0.54		0.95		9179		-1339		Yes		RTK		3D		1.6		2896		1.27		0.672		0.709		2.874				WME		Water Meter

		UP1408		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1408		8/7/25 15:51		3726'34.0202"N		797'27.2784"W		154.456		226269.372		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		50.695		100		-7		8		8.692		1.381		49.348		Yes		8/7/25 15:51		RTK		32		1.12		0.55		0.97		9078		-1339		Yes		RTK		3D		1.4		2896		0.672		0.512		0.551		1.689				WME		Water Meter

		UP1409		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1409		8/7/25 15:52		3726'34.0415"N		797'28.6341"W		109.217		226378.589		0		UNKNOWN		2		32768		CLASSIC		PEAK WITH ARROWS		140		77.687		100		0		10		11.995		0.761		-54.739		Yes		8/7/25 15:52		RTK		32		1.1		0.55		0.95		9011		-1339		Yes		RTK		3D		1.4		2896		1.157		0.551		0.669		2.564				WME		Water Meter

		UP1410		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1410		8/7/25 15:53		3726'34.0368"N		797'29.7501"W		89.893		226468.482		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		31.379		100		-13		7		8.145		-2.554		-86.323		Yes		8/7/25 15:53		RTK		32		1.03		0.53		0.89		8956		-1339		Yes		RTK		3D		1		2896		1.512		0.591		0.669		3.246				WME		Water Meter

		UP1411		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1411		8/7/25 16:06		3726'31.9507"N		797'35.4576"W		506.1		226974.582		0		UNKNOWN		5		32768		CLASSIC		PEAK WITH ARROWS		140		90.211		100		0		13		11.69		2.522		8.721		Yes		8/7/25 16:06		RTK		32		1.12		0.57		0.97		8766		-1339		Yes		RTK		3D		1		2896		0.472		0.382		0.394		1.215				WME		Water Meter

		UP1412		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1412		8/7/25 16:10		3726'31.9675"N		797'36.3719"W		73.667		227048.248		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		77.306		100		-18		4		10.484		0.427		-45.9		Yes		8/7/25 16:10		RTK		32		1.04		0.54		0.9		8655		-1339		Yes		RTK		3D		1.2		2896		0.433		0.394		0.394		1.171				WME		Water Meter

		UP1413		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1413		8/7/25 16:12		3726'33.7764"N		797'33.7778"W		278.096		227326.344		0		UNKNOWN		5		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		0		9		7.507		-0.723		-47.208		Yes		8/7/25 16:12		RTK		32		1.06		0.54		0.91		8730		-1339		Yes		RTK		3D		1.6		2896		1.157		0.759		0.748		2.768				WME		Water Meter

		UP1414		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1414		8/7/25 16:13		3726'34.2211"N		797'32.6473"W		101.626		227427.971		0		UNKNOWN		28		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		-1		13		10.242		1.536		-33.562		Yes		8/7/25 16:13		FLOAT RTK		32		1.1		0.57		0.94		8818		-1339		Yes		FLOAT RTK		3D		1.4		2896		6.626		5.522		1.299		17.25				WME		Water Meter

		UP1415		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1415		8/7/25 16:15		3726'34.4097"N		797'29.9526"W		217.891		227645.862		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		27.792		100		12		6		24.425		-5.292		-89.308		Yes		8/7/25 16:15		RTK		32		1.01		0.52		0.86		8971		-1339		Yes		RTK		3D		1		2896		1.388		0.948		0.748		3.362				WME		Water Meter

		UP1416		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1416		8/7/25 16:20		3726'34.6241"N		797'30.8893"W		78.526		227724.388		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		71.925		100		15		6		10.512		-1.46		-63.113		Yes		8/7/25 16:20		RTK		32		1.05		0.54		0.9		8956		-1339		Yes		RTK		3D		2.2		2896		1.512		0.759		0.709		3.383				WME		Water Meter

		UP1417		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1417		8/7/25 16:22		3726'34.4584"N		797'29.0653"W		147.88		227872.269		0		UNKNOWN		9		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		0		5		13.711		-2.098		-27.223		Yes		8/7/25 16:22		RTK		31		1.12		0.57		0.97		9003		-1339		Yes		RTK		3D		1		2896		0.672		0.433		0.394		1.599				WME		Water Meter

		UP1418		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1418		8/7/25 16:24		3726'34.4329"N		797'27.8649"W		96.723		227968.992		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		6.443		100		54		11		10.024		1.546		-62.427		Yes		8/7/25 16:24		RTK		31		1.05		0.53		0.91		9053		-1339		Yes		RTK		3D		0.6		2896		1.512		0.85		0.669		3.469				WME		Water Meter

		UP1419		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1419		8/7/25 16:25		3726'34.3814"N		797'26.6537"W		97.701		228066.693		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		8.558		100		-7		12		11.916		-0.782		-57.924		Yes		8/7/25 16:25		RTK		32		1.02		0.53		0.88		9115		-1339		Yes		RTK		3D		0.8		2896		0.672		0.472		0.433		1.643				WME		Water Meter

		UP1420		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1420		8/7/25 16:29		3726'34.3271"N		797'23.7362"W		235.057		228301.75		0		UNKNOWN		42		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		0		7		10.547		0.171		-51.09		Yes		8/7/25 16:29		RTK		32		1		0.5		0.86		9313		-1339		Yes		RTK		3D		1.2		2896		0.394		0.39		0.394		1.108				WME		Water Meter

		UP1421		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1421		8/7/25 16:48		3726'32.1296"N		797'38.4000"W		1201.988		229503.738		0		UNKNOWN		21		32768		CLASSIC		PEAK WITH ARROWS		140		12.62		100		-21		7		13.204		-2.214		56.898		Yes		8/7/25 16:48		RTK		32		1.04		0.52		0.9		8462		-1339		Yes		RTK		3D		1.4		2977		0.759		0.551		0.472		1.875				WME		Water Meter

		UP1422		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1422		8/7/25 16:48		3726'32.1320"N		797'38.4196"W		1.601		229505.339		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		8.063		100		-11		12		12.758		-3.635		46.26		Yes		8/7/25 16:48		RTK		32		1.04		0.52		0.9		8460		-1339		Yes		RTK		3D		2.8		2977		1.05		0.759		0.591		2.59				WME		Water Meter

		UP1423		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1423		8/7/25 16:48		3726'32.1478"N		797'38.4254"W		1.674		229507.012		0		UNKNOWN		39		32768		CLASSIC		PEAK WITH ARROWS		140		7.367		100		-19		9		16.578		-3.172		29.112		Yes		8/7/25 16:48		RTK		32		1.04		0.52		0.9		8459		-1339		Yes		RTK		3D		4.4		2977		0.759		0.512		0.472		1.83				WME		Water Meter

		UP1424		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1424		8/7/25 16:49		3726'32.1456"N		797'38.4494"W		1.944		229508.956		0		UNKNOWN		51		32768		CLASSIC		PEAK WITH ARROWS		140		11.012		100		17		9		8.945		-1.61		40.848		Yes		8/7/25 16:49		RTK		32		0.98		0.5		0.85		8458		-1339		Yes		RTK		3D		3.6		2977		0.759		0.551		0.472		1.875				WME		Water Meter

		UP1425		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1425		8/7/25 16:56		3726'29.1097"N		797'38.7022"W		308.667		229817.623		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		9.807		100		-34		3		9.746		-1.104		-87.318		Yes		8/7/25 16:56		RTK		32		1.03		0.54		0.87		8561		-1339		Yes		RTK		3D		1.2		2977		0.551		0.551		0.433		1.559				WME		Water Meter

		UP1426		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1426		8/7/25 16:58		3726'28.2764"N		797'39.4714"W		104.808		229922.431		0		UNKNOWN		29		32768		CLASSIC		PEAK WITH ARROWS		140		39.16		100		96		8		7.499		-0.851		-50.56		Yes		8/7/25 16:58		RTK		32		1.07		0.56		0.92		8627		-1339		Yes		RTK		3D		1		2977		0.433		0.394		0.394		1.171				WME		Water Meter

		UP1427		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1427		8/7/25 17:00		3726'27.6856"N		797'40.0148"W		74.22		229996.652		0		UNKNOWN		40		32768		CLASSIC		PEAK WITH ARROWS		140		37.452		100		-6		8		14.349		0.554		7.044		Yes		8/7/25 17:00		RTK		31		1.03		0.54		0.88		8672		-1339		Yes		RTK		3D		1.4		2977		0.591		0.512		0.394		1.563				WME		Water Meter

		UP1428		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1428		8/7/25 17:01		3726'27.2421"N		797'40.6085"W		65.657		230062.309		0		UNKNOWN		242		32768		CLASSIC		PEAK WITH ARROWS		140		17.975		100		-25		7		21.382		2.142		25.195		Yes		8/7/25 17:01		RTK		31		1		0.52		0.85		8714		-1339		Yes		RTK		3D		1		2977		0.759		0.551		0.433		1.875				WME		Water Meter

		UP1429		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1429		8/7/25 17:03		3726'27.3170"N		797'39.6042"W		81.252		230143.561		0		UNKNOWN		33		32768		CLASSIC		PEAK WITH ARROWS		140		16.738		100		8		8		16.76		-2.256		32.817		Yes		8/7/25 17:03		RTK		32		1.02		0.54		0.86		8733		-1339		Yes		RTK		3D		1		2977		0.382		0.335		0.394		1.016				WME		Water Meter

		UP1430		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1430		8/8/25 8:57		3725'53.0766"N		795'48.5165"W		0		230143.561		0		UNKNOWN		365		32768		CLASSIC		PEAK WITH ARROWS		140		5.73		100		-30		9		7.831		3.011		0.114		Yes		8/8/25 8:57		RTK		31		1.03		0.52		0.89		9931		-1339		Yes		RTK		3D		1.2		3253		0.472		0.358		0.394		1.186				WME		Water Meter

		UP1431		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1431		8/8/25 8:58		3725'52.3216"N		795'47.5101"W		111.535		230255.096		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		15.529		100		-11		11		7.093		0.389		13.112		Yes		8/8/25 8:58		RTK		32		1.03		0.51		0.89		9958		-1339		Yes		RTK		3D		1.4		3253		0.551		0.472		0.394		1.452				WME		Water Meter

		UP1432		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1432		8/8/25 8:59		3725'51.7085"N		795'46.6782"W		91.435		230346.531		0		UNKNOWN		80		32768		CLASSIC		PEAK WITH ARROWS		140		6.386		100		-1		8		4.144		-2.358		85.754		Yes		8/8/25 8:59		RTK		32		1.03		0.52		0.89		9933		-1339		Yes		RTK		3D		0.8		3253		0.948		0.433		0.63		2.084				WME		Water Meter

		UP1433		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1433		8/8/25 8:59		3725'50.8828"N		795'45.5355"W		124.464		230470.994		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		21.326		100		-1		12		7.479		4.438		5.027		Yes		8/8/25 8:59		RTK		31		1.02		0.51		0.89		9820		-1339		Yes		RTK		3D		1.2		3253		0.672		0.512		0.433		1.689				WME		Water Meter

		UP1434		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1434		8/8/25 9:00		3725'50.3766"N		795'44.8313"W		76.519		230547.514		0		UNKNOWN		38		32768		CLASSIC		PEAK WITH ARROWS		140		38.12		100		-1		6		8.987		-0.503		27.032		Yes		8/8/25 9:00		RTK		32		1.02		0.51		0.89		9769		-1339		Yes		RTK		3D		1.2		3253		0.472		0.433		0.394		1.282				WME		Water Meter

		UP1435		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1435		8/8/25 9:00		3725'49.5481"N		795'43.5896"W		130.658		230678.172		0		UNKNOWN		18		32768		CLASSIC		PEAK WITH ARROWS		140		27.782		100		-4		5		7.631		3.888		21.294		Yes		8/8/25 9:00		DGPS SPS VALID		31		1.06		0.54		0.91		9741		-1339		Yes		DIFFERENTIAL		3D		0.6		3253		4.465		3.508		4.724		11.356				WME		Water Meter

		UP1436		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1436		8/8/25 9:00		3725'49.5444"N		795'43.5912"W		0.398		230678.569		0		UNKNOWN		63		32768		CLASSIC		PEAK WITH ARROWS		140		17.7		100		-9		9		8.083		-0.51		33.852		Yes		8/8/25 9:00		FLOAT RTK		31		1.08		0.54		0.94		9737		-1339		Yes		FLOAT RTK		3D		0.8		3253		12.7		8.651		1.614		30.732				WME		Water Meter

		UP1437		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1437		8/8/25 9:01		3725'48.9729"N		795'42.7097"W		91.681		230770.25		0		UNKNOWN		19		32768		CLASSIC		PEAK WITH ARROWS		140		42.839		100		-5		3		10.056		-1.387		82.635		Yes		8/8/25 9:01		RTK		31		1.04		0.52		0.9		9733		-1339		Yes		RTK		3D		0.8		3253		0.759		0.512		0.433		1.83				WME		Water Meter

		UP1438		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1438		8/8/25 9:03		3725'48.1720"N		795'41.5381"W		124.54		230894.79		0		UNKNOWN		20		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		-3		4		10.713		1.95		-18.026		Yes		8/8/25 9:03		RTK		32		1.02		0.51		0.89		9670		-1339		Yes		RTK		3D		1.4		3253		0.433		0.335		0.394		1.095				WME		Water Meter

		UP1439		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1439		8/8/25 9:03		3725'47.7770"N		795'40.9423"W		62.527		230957.317		0		UNKNOWN		18		32768		CLASSIC		PEAK WITH ARROWS		140		100		100		-3		1		8.395		-0.395		-2.485		Yes		8/8/25 9:03		RTK		31		1.02		0.51		0.88		9630		-1339		Yes		RTK		3D		1.2		3253		0.672		0.512		0.433		1.689				WME		Water Meter

		UP1440		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1440		8/8/25 9:04		3725'47.0216"N		795'39.6821"W		127.207		231084.524		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		4.447		100		-7		10		11.163		2.216		84.101		Yes		8/8/25 9:04		RTK		32		1.03		0.52		0.89		9519		-1339		Yes		RTK		3D		0.8		3253		0.591		0.512		0.433		1.563				WME		Water Meter

		UP1441		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1441		8/8/25 9:05		3725'46.5563"N		795'39.1432"W		64.132		231148.655		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		5.383		100		58		9		12.009		-0.689		-30.457		Yes		8/8/25 9:05		RTK		31		1.09		0.54		0.95		9406		-1339		Yes		RTK		3D		2		3253		1.05		0.551		0.512		2.372				WME		Water Meter

		UP1442		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1442		8/8/25 9:06		3725'45.6610"N		795'38.4661"W		105.954		231254.609		0		UNKNOWN		14		32768		CLASSIC		PEAK WITH ARROWS		140		34.451		100		-2		8		6.248		5.842		27.599		Yes		8/8/25 9:06		RTK		32		1.01		0.51		0.88		9274		-1339		Yes		RTK		3D		1.4		3253		0.472		0.472		0.394		1.336				WME		Water Meter

		UP1443		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1443		8/8/25 9:14		3725'42.8372"N		795'36.8618"W		314.281		231568.89		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		10.798		100		1		11		18.874		-0.453		32.652		Yes		8/8/25 9:14		FLOAT RTK		31		1.06		0.54		0.91		8865		-1339		Yes		FLOAT RTK		3D		0.6		3267		6.442		4.049		0.827		15.218				WME		Water Meter

		UP1444		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1444		8/8/25 9:24		3725'44.1779"N		795'41.9617"W		432.793		232001.683		0		UNKNOWN		2		32768		CLASSIC		PEAK WITH ARROWS		140		10.823		100		2		10		12.812		-3.838		77.255		Yes		8/8/25 9:24		RTK		32		0.97		0.5		0.83		9239		-1339		Yes		RTK		3D		0.6		3267		0.551		0.433		0.394		1.402				WME		Water Meter

		UP1445		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1445		8/8/25 9:25		3725'43.8656"N		795'41.3325"W		59.775		232061.458		0		UNKNOWN		32		32768		CLASSIC		PEAK WITH ARROWS		140		10.754		100		-1		12		6.471		-0.358		-37.419		Yes		8/8/25 9:25		RTK		32		1.03		0.52		0.89		9129		-1339		Yes		RTK		3D		1.2		3267		0.85		0.551		0.472		2.027				WME		Water Meter

		UP1446		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1446		8/8/25 9:26		3725'43.6037"N		795'42.6759"W		111.437		232172.895		0		UNKNOWN		155		32768		CLASSIC		PEAK WITH ARROWS		140		4.617		100		-39		9		8.931		-1.743		36.589		Yes		8/8/25 9:26		RTK		32		1.02		0.54		0.86		9277		-1339		Yes		RTK		3D		0.8		3267		0.759		0.551		0.512		1.875				WME		Water Meter

		UP1447		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1447		8/8/25 9:27		3725'42.8503"N		795'43.2876"W		90.943		232263.838		0		UNKNOWN		33		32768		CLASSIC		PEAK WITH ARROWS		140		12.993		100		2		4		13.436		-1.607		-51.396		Yes		8/8/25 9:27		RTK		32		0.96		0.5		0.82		9213		-1339		Yes		RTK		3D		2.6		3267		0.591		0.551		0.472		1.616				WME		Water Meter

		UP1448		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1448		8/8/25 9:27		3725'42.0334"N		795'44.1145"W		106.33		232370.168		0		UNKNOWN		11		32768		CLASSIC		PEAK WITH ARROWS		140		10.446		100		-23		11		10.33		-3.035		1.053		Yes		8/8/25 9:27		FLOAT RTK		32		0.98		0.52		0.84		9173		-1339		Yes		FLOAT RTK		3D		39		3267		10.859		9.387		1.929		28.708				WME		Water Meter

		UP1449		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1449		8/8/25 9:28		3725'41.3551"N		795'44.9886"W		98.461		232468.63		0		UNKNOWN		36		32768		CLASSIC		PEAK WITH ARROWS		140		19.04		100		7		4		17.576		-1.102		24.549		Yes		8/8/25 9:28		DGPS SPS VALID		32		0.9		0.47		0.76		9137		-1339		Yes		DIFFERENTIAL		3D		0		131		15.307		10.524		12.598		37.151				WME		Water Meter

		UP1450		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1450		8/8/25 9:28		3725'41.3577"N		795'44.9913"W		0.348		232468.977		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		7.213		100		4		11		19.999		-2.01		-11.411		Yes		8/8/25 9:28		DGPS SPS VALID		32		0.89		0.46		0.76		9145		-1339		Yes		DIFFERENTIAL		3D		0		131		14.35		10.205		12.598		35.218				WME		Water Meter

		UP1451		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1451		8/8/25 9:29		3725'41.3651"N		795'45.0035"W		1.234		232470.211		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		3.383		100		2		7		48.375		-0.893		-8.184		Yes		8/8/25 9:29		DGPS SPS VALID		30		0.96		0.49		0.83		9181		-1339		Yes		DIFFERENTIAL		3D		0		131		10.843		9.567		11.811		28.92				WME		Water Meter

		UP1452		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1452		8/8/25 9:29		3725'41.3553"N		795'45.0036"W		0.99		232471.201		0		UNKNOWN		13		32768		CLASSIC		PEAK WITH ARROWS		140		9.9		100		2		2		68.319		10.27		-54.825		Yes		8/8/25 9:29		DGPS SPS VALID		30		0.95		0.48		0.82		9189		-1339		Yes		DIFFERENTIAL		3D		0		131		12.118		10.205		12.205		31.685				WME		Water Meter

		UP1453		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1453		8/8/25 9:30		3725'41.3930"N		795'44.9613"W		5.127		232476.327		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		8.251		100		2		8		30.352		-2.954		71.672		Yes		8/8/25 9:30		GPS SPS VALID		29		1.01		0.51		0.87		9375		-1339		Yes		AUTONOMOUS		3D		0		0		155.906		134.252		122.047		411.486				WME		Water Meter

		UP1454		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1454		8/8/25 9:30		3725'41.4249"N		795'44.9838"W		3.708		232480.035		0		UNKNOWN		14		32768		CLASSIC		PEAK WITH ARROWS		140		8.376		100		2		1		67.983		-23.205		-40.079		Yes		8/8/25 9:30		GPS SPS VALID		28		1.01		0.52		0.87		9226		-1339		Yes		AUTONOMOUS		3D		0		0		82.283		73.622		66.929		220.824				WME		Water Meter

		UP1455		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1455		8/8/25 9:30		3725'41.4141"N		795'44.9851"W		1.102		232481.137		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		140		13.739		100		3		5		69.441		6.673		-12.195		Yes		8/8/25 9:30		GPS SPS VALID		30		0.93		0.48		0.8		9201		-1339		Yes		AUTONOMOUS		3D		0		0		64.961		56.299		47.244		171.924				WME		Water Meter

		UP1456		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1456		8/8/25 9:30		3725'41.4069"N		795'44.9741"W		1.152		232482.289		0		UNKNOWN		58		32768		CLASSIC		PEAK WITH ARROWS		140		8.268		100		10		3		71.432		12.795		-40.346		Yes		8/8/25 9:30		GPS SPS VALID		27		0.99		0.5		0.85		9199		-1339		Yes		AUTONOMOUS		3D		0		0		56.299		51.969		43.307		153.236				WME		Water Meter

		UP1457		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1457		8/8/25 9:30		3725'41.3912"N		795'44.9619"W		1.866		232484.155		0		UNKNOWN		2		32768		CLASSIC		PEAK WITH ARROWS		140		10.197		100		3		3		68.833		8.863		-47.013		Yes		8/8/25 9:30		GPS SPS VALID		30		0.96		0.49		0.82		9180		-1339		Yes		AUTONOMOUS		3D		0		0		47.638		42.008		34.646		127.028				WME		Water Meter

		UP1458		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1458		8/8/25 9:30		3725'41.3833"N		795'44.9620"W		0.802		232484.957		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		139		6.605		100		20		6		3.212		-2.613		-68.107		Yes		8/8/25 9:30		GPS SPS VALID		30		0.93		0.48		0.8		9164		-1339		Yes		AUTONOMOUS		3D		0		0		40.709		35.945		29.921		108.614				WME		Water Meter

		UP1459		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1459		8/8/25 9:30		3725'41.3789"N		795'44.9621"W		0.443		232485.4		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		139		2.881		100		27		4		70.492		17.044		-61.936		Yes		8/8/25 9:30		GPS SPS VALID		30		0.94		0.49		0.8		9192		-1339		Yes		AUTONOMOUS		3D		0		0		37.244		33.78		27.559		100.562				WME		Water Meter

		UP1460		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1460		8/8/25 9:31		3725'41.3604"N		795'44.9208"W		3.824		232489.224		0		UNKNOWN		34		32768		CLASSIC		PEAK WITH ARROWS		139		11.03		100		5		9		2.895		-1.9		-72.572		Yes		8/8/25 9:31		GPS SPS VALID		30		0.93		0.48		0.79		9157		-1339		Yes		AUTONOMOUS		3D		0		0		32.913		29.449		24.409		88.329				WME		Water Meter

		UP1461		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1461		8/8/25 9:31		3725'41.3568"N		795'44.9332"W		1.061		232490.285		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		139		3.939		100		-1		4		71.022		78.587		-61.839		Yes		8/8/25 9:31		GPS SPS VALID		30		0.93		0.48		0.79		9173		-1339		Yes		AUTONOMOUS		3D		0		0		31.614		27.717		23.622		84.087				WME		Water Meter

		UP1462		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1462		8/8/25 9:32		3725'41.3114"N		795'45.0626"W		11.403		232501.688		0		UNKNOWN		3		32768		CLASSIC		PEAK WITH ARROWS		139		7.009		100		1		2		67.958		16.579		-65.25		Yes		8/8/25 9:32		GPS SPS VALID		30		0.96		0.5		0.82		9328		-1339		Yes		AUTONOMOUS		3D		0		0		138.583		134.252		122.047		385.895				WME		Water Meter

		UP1463		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1463		8/8/25 9:32		3725'41.3460"N		795'45.0717"W		3.582		232505.271		0		UNKNOWN		0		32768		CLASSIC		PEAK WITH ARROWS		139		5.195		100		4		4		-62.995		-2.046		89.276		Yes		8/8/25 9:32		GPS SPS VALID		30		0.92		0.48		0.79		9307		-1339		Yes		AUTONOMOUS		3D		0		0		73.622		69.291		62.992		202.203				WME		Water Meter

		UP1464		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1464		8/8/25 9:32		3725'41.3248"N		795'44.9676"W		8.651		232513.921		0		UNKNOWN		8		32768		CLASSIC		OMNI PEAK		138		15.166		100		5		3		60.834		14.716		43.096		Yes		8/8/25 9:32		RTK		30		1.02		0.53		0.87		9146		-1339		Yes		RTK		3D		11.8		3286		1.157		0.948		0.669		2.992				WME		Water Meter

		UP1465		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1465		8/8/25 9:38		3725'40.8081"N		795'44.8562"W		53.182		232567.104		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		4.926		100		-1		9		19.613		-0.928		36.626		Yes		8/8/25 9:38		RTK		32		1.01		0.52		0.87		9096		-1339		Yes		RTK		3D		1		3289		1.157		0.591		0.551		2.599				WME		Water Meter

		UP1466		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1466		8/8/25 9:41		3725'46.5145"N		795'39.9540"W		700.804		233267.907		0		UNKNOWN		27		32768		CLASSIC		OMNI PEAK		138		100		100		3		4		13.242		-2.669		11.894		Yes		8/8/25 9:41		FLOAT RTK		31		1.01		0.53		0.86		9457		-1339		Yes		FLOAT RTK		3D		1.2		3289		2.577		2.209		0.433		6.788				WME		Water Meter

		UP1467		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1467		8/8/25 9:42		3725'47.1436"N		795'40.9180"W		100.52		233368.427		0		UNKNOWN		30		32768		CLASSIC		OMNI PEAK		138		100		100		-4		5		10.903		3.7		11.092		Yes		8/8/25 9:42		RTK		32		1.04		0.53		0.89		9577		-1339		Yes		RTK		3D		1		3289		2.362		1.27		0.748		5.364				WME		Water Meter

		UP1468		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1468		8/8/25 9:43		3725'47.9095"N		795'42.0653"W		120.744		233489.171		0		UNKNOWN		28		32768		CLASSIC		OMNI PEAK		138		100		100		7		7		10.129		3.58		81.015		Yes		8/8/25 9:43		RTK		31		1.01		0.54		0.86		9669		-1339		Yes		RTK		3D		0.6		3289		1.157		0.759		0.669		2.768				WME		Water Meter

		UP1469		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1469		8/8/25 9:44		3725'48.3136"N		795'42.6190"W		60.596		233549.767		0		UNKNOWN		59		32768		CLASSIC		OMNI PEAK		138		76.677		100		8		11		10.491		1.317		23.106		Yes		8/8/25 9:44		RTK		32		1		0.53		0.85		9705		-1339		Yes		RTK		3D		1		3289		1.05		0.85		0.63		2.702				WME		Water Meter

		UP1470		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1470		8/8/25 9:44		3725'49.1592"N		795'43.8495"W		131.09		233680.858		0		UNKNOWN		26		32768		CLASSIC		OMNI PEAK		138		100		100		8		4		10.221		2.344		39.424		Yes		8/8/25 9:45		RTK		32		1.02		0.54		0.87		9734		-1339		Yes		RTK		3D		1.2		3289		1.05		0.672		0.63		2.493				WME		Water Meter

		UP1471		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1471		8/8/25 9:45		3725'49.7631"N		795'44.7403"W		94.362		233775.22		0		UNKNOWN		83		32768		CLASSIC		OMNI PEAK		138		17.34		100		2		10		11.411		1.021		-55.495		Yes		8/8/25 9:45		RTK		32		1.03		0.54		0.88		9745		-1339		Yes		RTK		3D		0.4		3289		0.472		0.394		0.394		1.23				WME		Water Meter

		UP1472		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1472		8/8/25 9:46		3725'50.3859"N		795'45.6461"W		96.523		233871.742		0		UNKNOWN		74		32768		CLASSIC		OMNI PEAK		138		7.332		100		-28		6		12.318		-0.5		69.945		Yes		8/8/25 9:46		RTK		32		1.03		0.54		0.88		9810		-1339		Yes		RTK		3D		0.8		3289		0.591		0.472		0.433		1.513				WME		Water Meter

		UP1473		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1473		8/8/25 9:47		3725'51.1607"N		795'46.8031"W		121.925		233993.667		0		UNKNOWN		57		32768		CLASSIC		OMNI PEAK		138		20.864		100		-8		12		14.331		-2.284		-1.181		Yes		8/8/25 9:47		RTK		31		1.05		0.55		0.89		9927		-1339		Yes		RTK		3D		0.4		3289		0.39		0.331		0.394		1.022				WME		Water Meter

		UP1474		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1474		8/8/25 9:47		3725'51.7903"N		795'47.7886"W		101.898		234095.566		0		UNKNOWN		23		32768		CLASSIC		OMNI PEAK		138		10.015		100		6		12		12.886		2.709		-35.952		Yes		8/8/25 9:48		RTK		29		1.11		0.57		0.95		9973		-1339		Yes		RTK		3D		1.2		3289		0.85		0.672		0.63		2.168				WME		Water Meter

		UP1475		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1475		8/8/25 9:48		3725'52.0035"N		795'48.1211"W		34.424		234129.99		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		0.513		100		-38		11		21.637		-2.005		12.84		Yes		8/8/25 9:48		RTK		30		0.98		0.53		0.83		9974		-1339		Yes		RTK		3D		0.4		3289		0.551		0.551		0.512		1.559				WME		Water Meter

		UP1476		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1476		8/8/25 9:55		3725'54.2472"N		795'50.3885"W		291.853		234421.843		0		UNKNOWN		36		32768		CLASSIC		OMNI PEAK		138		12.384		100		1		12		12.039		-2.172		-24.667		Yes		8/8/25 9:55		RTK		29		1.09		0.56		0.93		9857		-1339		Yes		RTK		3D		0.6		3289		1.27		1.157		0.787		3.437				WME		Water Meter

		UP1477		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1477		8/8/25 10:01		3725'56.5839"N		795'51.7637"W		261.675		234683.518		0		UNKNOWN		39		32768		CLASSIC		OMNI PEAK		138		28.527		100		1		12		16.027		-0.702		-18.277		Yes		8/8/25 10:01		RTK		31		1.1		0.58		0.94		9858		-1339		Yes		RTK		3D		0.4		3289		0.472		0.433		0.433		1.282				WME		Water Meter

		UP1478		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1478		8/8/25 10:02		3725'57.9165"N		795'52.6202"W		151.778		234835.296		0		UNKNOWN		59		32768		CLASSIC		OMNI PEAK		138		9.055		100		13		10		12.696		-2.319		-28.322		Yes		8/8/25 10:02		FLOAT RTK		31		1.1		0.58		0.93		9728		-1339		Yes		FLOAT RTK		3D		0.8		3289		2.761		2.209		0.512		7.071				WME		Water Meter

		UP1479		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1479		8/8/25 10:03		3725'57.4017"N		795'51.9149"W		77.174		234912.47		0		UNKNOWN		8		32768		CLASSIC		OMNI PEAK		138		7.899		100		-5		9		13.263		-1.428		89.088		Yes		8/8/25 10:03		FLOAT RTK		31		1.2		0.62		1.03		9808		-1339		Yes		FLOAT RTK		3D		0.8		3289		2.577		2.393		0.472		7.033				WME		Water Meter

		UP1480		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1480		8/8/25 10:04		3725'58.8378"N		795'53.8382"W		212.68		235125.15		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		3.256		100		-1		9		12.349		-1.125		-75.557		Yes		8/8/25 10:04		FLOAT RTK		31		1.41		0.66		1.24		9666		-1339		Yes		FLOAT RTK		3D		0.4		3289		2.945		2.393		0.551		7.589				WME		Water Meter

		UP1481		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1481		8/8/25 10:04		3725'58.8548"N		795'53.8568"W		2.285		235127.435		0		UNKNOWN		34		32768		CLASSIC		OMNI PEAK		138		10.423		100		-1		9		16.727		-0.118		-75.852		Yes		8/8/25 10:04		FLOAT RTK		31		1.41		0.66		1.24		9663		-1339		Yes		FLOAT RTK		3D		0.8		3289		2.761		2.393		0.512		7.307				WME		Water Meter

		UP1482		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1482		8/8/25 10:06		3725'59.9575"N		795'55.3236"W		162.716		235290.151		0		UNKNOWN		761		32768		CLASSIC		OMNI PEAK		138		4.467		100		4		9		11.398		-0.45		35.752		Yes		8/8/25 10:06		RTK		31		1.39		0.66		1.22		9542		-1339		Yes		RTK		3D		0.4		3289		0.591		0.472		0.551		1.513				WME		Water Meter

		UP1483		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1483		8/8/25 10:06		3725'59.9186"N		795'55.2665"W		6.064		235296.215		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		0.532		100		16		5		11.763		-1.216		53.677		Yes		8/8/25 10:07		RTK		31		1.39		0.66		1.22		9542		-1339		Yes		RTK		3D		0.8		3289		0.512		0.394		0.433		1.291				WME		Water Meter

		UP1484		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1484		8/8/25 10:08		3725'59.2712"N		795'53.7408"W		139.349		235435.563		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		2.161		100		-5		8		11.288		1.601		68.189		Yes		8/8/25 10:08		RTK		30		1.4		0.67		1.22		9727		-1339		Yes		RTK		3D		0.8		3289		0.85		0.551		0.669		2.027				WME		Water Meter

		UP1485		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1485		8/8/25 10:13		3725'57.8214"N		795'50.7910"W		279.473		235715.036		0		UNKNOWN		100		32768		CLASSIC		OMNI PEAK		138		2.895		100		28		7		16.036		-1.563		-52.957		Yes		8/8/25 10:13		RTK		30		1.14		0.59		0.97		9953		-1339		Yes		RTK		3D		0.6		3289		1.388		1.05		0.787		3.481				WME		Water Meter

		UP1486		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1486		8/8/25 10:14		3725'58.5996"N		795'50.4782"W		82.878		235797.914		0		UNKNOWN		40		32768		CLASSIC		OMNI PEAK		138		7.357		100		-23		8		14.468		0.575		-52.774		Yes		8/8/25 10:14		RTK		32		1.13		0.59		0.96		9993		-1339		Yes		RTK		3D		0.8		3289		0.512		0.472		0.472		1.393				WME		Water Meter

		UP1487		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1487		8/8/25 10:15		3725'59.4301"N		795'50.1193"W		89.077		235886.991		0		UNKNOWN		23		32768		CLASSIC		OMNI PEAK		138		56.103		100		-3		4		14.84		-0.512		7.682		Yes		8/8/25 10:15		RTK		32		1.12		0.59		0.95		10039		-1339		Yes		RTK		3D		1.2		3289		0.433		0.374		0.394		1.144				WME		Water Meter

		UP1488		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1488		8/8/25 10:15		3725'59.6916"N		795'49.9990"W		28.244		235915.235		0		UNKNOWN		19		32768		CLASSIC		OMNI PEAK		138		53.971		100		7		7		23.509		-3.111		58.982		Yes		8/8/25 10:15		RTK		32		1.12		0.59		0.95		10060		-1339		Yes		RTK		3D		1.2		3289		0.37		0.35		0.394		1.019				WME		Water Meter

		UP1489		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1489		8/8/25 10:20		3726'1.0570"N		795'49.3999"W		146.686		236061.921		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		0.316		100		22		6		11.785		-2.443		81.645		Yes		8/8/25 10:20		RTK		31		1.32		0.66		1.14		10117		-1339		Yes		RTK		3D		0.4		3289		1.64		1.512		0.906		4.462				WME		Water Meter

		UP1490		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1490		8/8/25 10:21		3726'1.7225"N		795'48.8049"W		82.803		236144.724		0		UNKNOWN		244		32768		CLASSIC		OMNI PEAK		138		16.833		100		23		4		12.175		3.306		24.031		Yes		8/8/25 10:21		RTK		31		1.31		0.66		1.14		10108		-1339		Yes		RTK		3D		1		3289		2.058		1.27		0.866		4.837				WME		Water Meter

		UP1491		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1491		8/8/25 10:23		3726'1.3421"N		795'48.3727"W		51.973		236196.696		0		UNKNOWN		83		32768		CLASSIC		OMNI PEAK		138		15.715		100		0		9		9.86		-2.989		-73.492		Yes		8/8/25 10:23		RTK		30		1.3		0.65		1.12		10088		-1339		Yes		RTK		3D		0.4		3289		0.591		0.512		0.512		1.563				WME		Water Meter

		UP1492		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1492		8/8/25 10:23		3726'1.3568"N		795'48.3586"W		1.876		236198.572		0		UNKNOWN		99		32768		CLASSIC		OMNI PEAK		138		5.45		100		-2		9		7.741		-1.42		1.077		Yes		8/8/25 10:23		RTK		30		1.29		0.65		1.12		10087		-1339		Yes		RTK		3D		1.2		3289		0.591		0.551		0.512		1.616				WME		Water Meter

		UP1493		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1493		8/8/25 10:23		3726'1.3711"N		795'48.3632"W		1.493		236200.066		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		1.146		100		4		8		8.183		-1.96		69.736		Yes		8/8/25 10:23		RTK		30		1.29		0.65		1.12		10086		-1339		Yes		RTK		3D		0.4		3289		0.948		0.759		0.63		2.427				WME		Water Meter

		UP1494		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1494		8/8/25 10:23		3726'1.3763"N		795'48.3445"W		1.59		236201.655		0		UNKNOWN		47		32768		CLASSIC		OMNI PEAK		138		9.362		100		-63		9		8.075		-1.961		11.607		Yes		8/8/25 10:23		RTK		30		1.18		0.6		1.01		10084		-1339		Yes		RTK		3D		1.4		3289		0.551		0.472		0.433		1.452				WME		Water Meter

		UP1495		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1495		8/8/25 10:23		3726'1.3915"N		795'48.3510"W		1.633		236203.289		0		UNKNOWN		311		32768		CLASSIC		OMNI PEAK		138		1.495		100		74		7		10.67		-0.515		-83.406		Yes		8/8/25 10:23		RTK		30		1.18		0.6		1.01		10085		-1339		Yes		RTK		3D		1.6		3289		0.551		0.472		0.433		1.452				WME		Water Meter

		UP1496		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1496		8/8/25 10:24		3726'1.3948"N		795'48.3263"W		2.014		236205.303		0.001		UNKNOWN		22721		32768		CLASSIC		OMNI PEAK		138		1.549		100		-161		5		16.406		-1.614		80.172		Yes		8/8/25 10:24		RTK		30		1.18		0.6		1.01		10084		-1339		Yes		RTK		3D		0.6		3289		0.551		0.472		0.433		1.452				WME		Water Meter

		UP1497		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1497		8/8/25 10:25		3726'1.1984"N		795'45.8911"W		197.182		236402.485		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		2.204		100		6		11		10.18		0.787		58.68		Yes		8/8/25 10:25		RTK		29		1.17		0.6		1		10038		-1339		Yes		RTK		3D		1.2		3289		0.948		0.759		0.63		2.427				WME		Water Meter

		UP1498		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1498		8/8/25 10:26		3726'0.1445"N		795'44.0003"W		186.101		236588.587		0		UNKNOWN		131		32768		CLASSIC		OMNI PEAK		138		6.27		100		-1		11		7.332		-3.722		53.242		Yes		8/8/25 10:26		RTK		31		1.17		0.6		1		10041		-1339		Yes		RTK		3D		1		3289		0.759		0.551		0.551		1.875				WME		Water Meter

		UP1499		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1499		8/8/25 10:29		3726'0.1854"N		795'43.5302"W		38.097		236626.684		0		UNKNOWN		53		32768		CLASSIC		OMNI PEAK		138		7.059		100		8		5		18.517		1.723		85.466		Yes		8/8/25 10:29		RTK		31		1.04		0.57		0.87		10073		-1339		Yes		RTK		3D		1.2		3289		0.433		0.394		0.394		1.171				WME		Water Meter

		UP1500		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1500		8/8/25 10:32		3725'58.7044"N		795'41.7235"W		209.183		236835.867		0		UNKNOWN		22		32768		CLASSIC		OMNI PEAK		138		19.164		100		-7		8		29.111		-3.198		-3.837		Yes		8/8/25 10:32		RTK		31		0.99		0.55		0.83		10029		-1339		Yes		RTK		3D		1.2		3289		0.433		0.378		0.394		1.15				WME		Water Meter

		UP1501		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1501		8/8/25 10:36		3725'58.1180"N		795'41.5118"W		61.883		236897.75		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		8.94		100		38		6		7.499		1.461		2.863		Yes		8/8/25 10:36		RTK		31		0.98		0.55		0.81		9958		-1339		Yes		RTK		3D		0.8		3289		0.759		0.551		0.472		1.875				WME		Water Meter

		UP1502		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1502		8/8/25 10:41		3725'56.4306"N		795'42.8921"W		204.127		237101.877		0		UNKNOWN		24		32768		CLASSIC		OMNI PEAK		138		24.345		100		-59		8		18.397		-1.574		-27.962		Yes		8/8/25 10:41		RTK		30		1.01		0.56		0.83		9727		-1339		Yes		RTK		3D		1		3289		0.759		0.672		0.512		2.027				WME		Water Meter

		UP1503		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1503		8/8/25 10:42		3725'55.9319"N		795'43.2030"W		56.456		237158.334		0		UNKNOWN		25		32768		CLASSIC		OMNI PEAK		138		38.3		100		-2		3		15.261		-2.209		2.496		Yes		8/8/25 10:42		FLOAT RTK		30		1.01		0.56		0.83		9661		-1339		Yes		FLOAT RTK		3D		0.4		3289		2.945		2.577		0.472		7.826				WME		Water Meter

		UP1504		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1504		8/8/25 10:47		3726'0.6859"N		795'40.7633"W		520.805		237679.139		0		UNKNOWN		1937		32768		CLASSIC		OMNI PEAK		138		2.574		100		-1		12		10.742		9.473		3.828		Yes		8/8/25 10:47		FLOAT RTK		30		1.13		0.61		0.95		10226		-1339		Yes		FLOAT RTK		3D		0.4		3289		4.785		3.865		0.906		12.303				WME		Water Meter

		UP1505		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1505		8/8/25 10:47		3726'0.6085"N		795'40.8297"W		9.503		237688.642		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		138		9.573		100		7		7		16.81		-0.07		-51.278		Yes		8/8/25 10:47		FLOAT RTK		30		1.13		0.61		0.95		10216		-1339		Yes		FLOAT RTK		3D		1		3289		5.154		4.417		1.024		13.575				WME		Water Meter

		UP1506		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1506		8/8/25 10:52		3725'59.2233"N		795'43.6462"W		266.887		237955.529		0		UNKNOWN		248		32768		CLASSIC		OMNI PEAK		138		3.64		100		-14		8		9.599		-2.726		50.392		Yes		8/8/25 10:52		RTK		30		1.11		0.62		0.92		9931		-1339		Yes		RTK		3D		0.6		3289		3.215		1.774		0.984		7.345				WME		Water Meter

		UP1507		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1507		8/8/25 10:52		3725'59.7921"N		795'44.4489"W		86.667		238042.196		0		UNKNOWN		38		32768		CLASSIC		OMNI PEAK		138		16.796		100		7		7		6.38		-1.223		-0.998		Yes		8/8/25 10:52		RTK		30		1.1		0.62		0.92		9995		-1339		Yes		RTK		3D		1.2		3289		0.512		0.394		0.394		1.291				WME		Water Meter

		UP1508		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1508		8/8/25 10:54		3726'1.9568"N		795'47.2080"W		312.462		238354.658		0		UNKNOWN		38		32768		CLASSIC		OMNI PEAK		138		8.641		100		26		11		10.784		-3.783		-5.833		Yes		8/8/25 10:54		RTK		31		1.1		0.62		0.91		10082		-1339		Yes		RTK		3D		0.4		3289		0.551		0.433		0.394		1.402				WME		Water Meter

		UP1509		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1509		8/8/25 10:55		3726'3.1913"N		795'47.6008"W		129.174		238483.831		0		UNKNOWN		5		32768		CLASSIC		OMNI PEAK		138		29.736		100		-2		6		11.058		-1.924		57.875		Yes		8/8/25 10:55		RTK		31		1.09		0.62		0.9		10111		-1339		Yes		RTK		3D		0.8		3289		1.512		1.157		0.709		3.808				WME		Water Meter

		UP1510		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1510		8/8/25 10:56		3726'4.0228"N		795'46.7985"W		106.267		238590.098		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		1.383		100		-69		8		7.473		0.015		-63.981		Yes		8/8/25 10:56		RTK		31		1.08		0.62		0.89		10156		-1339		Yes		RTK		3D		1		3289		0.948		0.672		0.512		2.323				WME		Water Meter

		UP1511		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1511		8/8/25 11:05		3726'6.9524"N		795'43.8632"W		379.795		238969.893		0		UNKNOWN		458		32768		CLASSIC		OMNI PEAK		138		6.085		100		-54		12		8.995		-3.862		43.027		Yes		8/8/25 11:05		RTK		31		0.97		0.57		0.79		10342		-1339		Yes		RTK		3D		1.2		3289		0.512		0.433		0.394		1.341				WME		Water Meter

		UP1512		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1512		8/8/25 11:08		3726'8.4631"N		795'50.8008"W		579.49		239549.383		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		138		19.13		100		0		12		13.07		-2.965		-38.023		Yes		8/8/25 11:08		RTK		31		1.1		0.62		0.91		10155		-1339		Yes		RTK		3D		1		3289		1.05		0.672		0.512		2.493				WME		Water Meter

		UP1513		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1513		8/8/25 11:08		3726'8.6671"N		795'51.6719"W		73.161		239622.544		0		UNKNOWN		70		32768		CLASSIC		OMNI PEAK		138		7.497		100		-8		9		9.849		-1.51		64.943		Yes		8/8/25 11:08		FLOAT RTK		31		1.1		0.62		0.91		10125		-1339		Yes		FLOAT RTK		3D		0.8		3289		4.233		2.761		0.551		10.108				WME		Water Meter

		UP1514		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1514		8/8/25 11:09		3726'8.1768"N		795'52.1311"W		61.991		239684.536		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		1.11		100		33		10		8.175		-1.571		-7.249		Yes		8/8/25 11:09		RTK		31		1.1		0.62		0.9		10096		-1339		Yes		RTK		3D		1.4		3289		0.672		0.551		0.591		1.738				WME		Water Meter

		UP1515		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1515		8/8/25 11:22		3726'6.3824"N		795'55.3899"W		319.456		240003.991		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		0.106		100		40		6		8.116		2.617		17.877		Yes		8/8/25 11:22		RTK		32		1.02		0.6		0.82		9950		-1339		Yes		RTK		3D		0.6		3289		0.85		0.672		0.512		2.168				WME		Water Meter

		UP1516		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1516		8/8/25 11:22		3726'6.3560"N		795'55.3887"W		2.68		240006.672		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		1.953		100		76		10		10.884		1.742		-21.59		Yes		8/8/25 11:22		RTK		32		1.02		0.6		0.82		9947		-1339		Yes		RTK		3D		1.2		3289		0.759		0.672		0.512		2.027				WME		Water Meter

		UP1517		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1517		8/8/25 11:22		3726'6.3470"N		795'55.4246"W		3.038		240009.71		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		0.218		100		39		11		13.826		0.15		46.829		Yes		8/8/25 11:22		RTK		31		1.02		0.6		0.82		9946		-1339		Yes		RTK		3D		1.2		3289		1.05		0.85		0.591		2.702				WME		Water Meter

		UP1518		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1518		8/8/25 11:34		3726'7.4337"N		795'49.2085"W		512.735		240522.444		0		UNKNOWN		24		32768		CLASSIC		OMNI PEAK		138		66.858		100		7		6		10.833		2.567		83.085		Yes		8/8/25 11:34		FLOAT RTK		31		1.06		0.61		0.87		10163		-1339		Yes		FLOAT RTK		3D		1.2		3289		9.755		6.994		1.26		24.006				WME		Water Meter

		UP1519		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1519		8/8/25 11:35		3726'7.9488"N		795'51.2288"W		170.924		240693.368		0		UNKNOWN		495		32768		CLASSIC		OMNI PEAK		138		6.882		100		-24		6		7.332		-0.686		13.028		Yes		8/8/25 11:35		FLOAT RTK		31		1.14		0.63		0.95		10118		-1339		Yes		FLOAT RTK		3D		1		3289		11.595		6.074		1.417		26.18				WME		Water Meter

		UP1520		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1520		8/8/25 11:52		3726'5.0112"N		795'39.4318"W		995.946		241689.314		0		UNKNOWN		193		32768		CLASSIC		OMNI PEAK		138		3.979		100		2		9		7.608		-1.303		-79.835		Yes		8/8/25 11:52		RTK		28		1.16		0.64		0.97		10456		-1339		Yes		RTK		3D		1		3289		0.672		0.512		0.472		1.689				WME		Water Meter

		UP1521		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1521		8/8/25 11:54		3726'5.2287"N		795'39.0134"W		40.287		241729.601		0		UNKNOWN		1066		32768		CLASSIC		OMNI PEAK		138		3.009		100		0		9		10.679		0.876		66.5		Yes		8/8/25 11:54		RTK		28		1.16		0.64		0.97		10411		-1339		Yes		RTK		3D		0.8		3289		0.85		0.672		0.591		2.168				WME		Water Meter

		UP1522		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1522		8/8/25 12:03		3726'9.0101"N		795'41.9894"W		452.366		242181.967		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		0		100		15		7		7.345		-1.313		-45.828		Yes		8/8/25 12:03		RTK		29		1.01		0.58		0.83		10165		-1339		Yes		RTK		3D		0.8		3289		1.388		0.948		0.669		3.362				WME		Water Meter

		UP1523		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1523		8/8/25 12:04		3726'9.5163"N		795'41.1177"W		86.994		242268.961		0		UNKNOWN		46		32768		CLASSIC		OMNI PEAK		138		15.769		100		42		9		15.61		-2.515		-57.475		Yes		8/8/25 12:04		RTK		29		1.01		0.58		0.83		10129		-1339		Yes		RTK		3D		1.2		3289		1.64		1.512		0.945		4.462				WME		Water Meter

		UP1524		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1524		8/8/25 12:06		3726'12.0223"N		795'39.7271"W		277.823		242546.784		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		7.092		100		-10		8		12.712		-4.039		72.597		Yes		8/8/25 12:06		RTK		29		1.01		0.58		0.83		10084		-1339		Yes		RTK		3D		1		3289		0.759		0.551		0.472		1.875				WME		Water Meter

		UP1525		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1525		8/8/25 12:10		3726'7.2028"N		795'42.8040"W		548.178		243094.962		0		UNKNOWN		25		32768		CLASSIC		OMNI PEAK		138		100		100		6		4		15.312		-0.686		-17.191		Yes		8/8/25 12:10		RTK		29		1.08		0.6		0.9		10288		-1339		Yes		RTK		3D		1		3289		1.774		1.388		0.748		4.506				WME		Water Meter

		UP1526		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1526		8/8/25 12:11		3726'6.0055"N		795'43.9618"W		153.14		243248.102		0		UNKNOWN		52		32768		CLASSIC		OMNI PEAK		138		13.303		100		-8		9		15.226		0.253		44.656		Yes		8/8/25 12:11		RTK		29		1.08		0.6		0.9		10375		-1339		Yes		RTK		3D		1.2		3289		0.433		0.35		0.394		1.114				WME		Water Meter

		UP1527		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1527		8/8/25 12:12		3726'5.3404"N		795'44.7413"W		92.18		243340.282		0		UNKNOWN		18		32768		CLASSIC		OMNI PEAK		138		62.558		100		0		4		28.857		4.482		20.419		Yes		8/8/25 12:12		RTK		29		1.13		0.62		0.94		10332		-1339		Yes		RTK		3D		0.4		3289		0.472		0.433		0.394		1.282				WME		Water Meter

		UP1528		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1528		8/8/25 12:13		3726'5.1208"N		795'45.0379"W		32.665		243372.946		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		2.027		100		2		8		19.843		-0.275		-61.914		Yes		8/8/25 12:13		RTK		29		1.08		0.6		0.9		10297		-1339		Yes		RTK		3D		0.4		3289		0.672		0.472		0.433		1.643				WME		Water Meter

		UP1529		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1529		8/8/25 12:14		3726'5.1935"N		795'45.6239"W		47.775		243420.721		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		5.251		100		-55		8		11.663		-6.29		22.186		Yes		8/8/25 12:14		RTK		26		1.28		0.65		1.1		10275		-1339		Yes		RTK		3D		1		3289		1.157		0.759		0.591		2.768				WME		Water Meter

		UP1530		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1530		8/8/25 12:16		3726'3.6243"N		795'46.5194"W		174.783		243595.504		0		UNKNOWN		34		32768		CLASSIC		OMNI PEAK		138		30.048		100		-1		3		12.316		-1.906		80.414		Yes		8/8/25 12:16		RTK		28		1.28		0.65		1.11		10170		-1339		Yes		RTK		3D		1		3289		0.591		0.512		0.472		1.563				WME		Water Meter

		UP1531		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1531		8/8/25 12:18		3726'0.4222"N		795'49.1422"W		387.515		243983.019		0		UNKNOWN		37		32768		CLASSIC		OMNI PEAK		138		10.848		100		-11		8		12.044		-2.895		33.456		Yes		8/8/25 12:18		RTK		28		1.29		0.65		1.12		10082		-1339		Yes		RTK		3D		1		3289		0.672		0.512		0.433		1.689				WME		Water Meter

		UP1532		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1532		8/8/25 12:19		3725'59.2265"N		795'49.6558"W		128.166		244111.185		0		UNKNOWN		32		32768		CLASSIC		OMNI PEAK		138		100		100		-6		1		12.968		0.312		39.97		Yes		8/8/25 12:19		RTK		28		1.29		0.65		1.12		10028		-1339		Yes		RTK		3D		0.4		3289		2.058		1.64		0.827		5.263				WME		Water Meter

		UP1533		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1533		8/8/25 12:20		3725'58.6535"N		795'49.8528"W		60.259		244171.444		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		2.885		100		-41		7		11.31		-2.874		42.151		Yes		8/8/25 12:20		RTK		28		1.3		0.65		1.12		10006		-1339		Yes		RTK		3D		0.4		3289		1.27		1.05		0.709		3.296				WME		Water Meter

		UP1534		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1534		8/8/25 12:24		3725'57.3017"N		795'50.5380"W		147.83		244319.275		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		138		9.921		100		-12		9		11.354		-6.111		49.332		Yes		8/8/25 12:24		RTK		29		1.31		0.65		1.13		9943		-1339		Yes		RTK		3D		0.6		3289		2.362		1.157		0.748		5.261				WME		Water Meter

		UP1535		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1535		8/8/25 12:24		3725'57.2715"N		795'50.5522"W		3.274		244322.549		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		2		100		37		11		18.745		1.396		66.144		Yes		8/8/25 12:24		RTK		29		1.31		0.65		1.14		9940		-1339		Yes		RTK		3D		0.8		3289		1.64		0.85		0.63		3.695				WME		Water Meter

		UP1536		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1536		8/8/25 12:25		3725'57.2472"N		795'50.5729"W		2.98		244325.529		0		UNKNOWN		26		32768		CLASSIC		OMNI PEAK		138		7.118		100		4		9		16.16		1.056		-17.599		Yes		8/8/25 12:25		RTK		29		1.31		0.65		1.14		9938		-1339		Yes		RTK		3D		0.8		3289		1.512		0.948		0.63		3.568				WME		Water Meter

		UP1537		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1537		8/8/25 12:26		3725'57.0066"N		795'50.6387"W		24.97		244350.499		0		UNKNOWN		541		32768		CLASSIC		OMNI PEAK		138		2.45		100		14		5		19.149		-1.204		-11.421		Yes		8/8/25 12:26		RTK		29		1.31		0.65		1.14		9935		-1339		Yes		RTK		3D		0.8		3289		1.157		0.948		0.591		2.992				WME		Water Meter

		UP1538		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1538		8/8/25 12:38		3725'55.0847"N		795'53.0912"W		277.578		244628.077		0		UNKNOWN		193		32768		CLASSIC		OMNI PEAK		138		8.902		100		30		4		25.739		4.431		-43.925		Yes		8/8/25 12:38		RTK		28		1.13		0.59		0.97		9920		-1339		Yes		RTK		3D		1		3289		0.759		0.551		0.472		1.875				WME		Water Meter

		UP1539		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1539		8/8/25 12:40		3725'54.3385"N		795'53.8412"W		96.866		244724.943		0		UNKNOWN		28		32768		CLASSIC		OMNI PEAK		138		25.546		100		-11		9		11.409		1.139		61.186		Yes		8/8/25 12:40		RTK		28		1.14		0.59		0.97		9923		-1339		Yes		RTK		3D		0.4		3289		1.774		1.157		0.669		4.237				WME		Water Meter

		UP1540		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1540		8/8/25 12:40		3725'54.3323"N		795'53.8160"W		2.13		244727.073		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		2.353		100		5		8		14.473		-5.544		-49.525		Yes		8/8/25 12:40		RTK		28		1.14		0.59		0.97		9922		-1339		Yes		RTK		3D		1		3289		1.64		1.388		0.63		4.298				WME		Water Meter

		UP1541		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1541		8/8/25 12:40		3725'53.8097"N		795'54.3267"W		67.108		244794.181		0		UNKNOWN		36		32768		CLASSIC		OMNI PEAK		138		14.8		100		-16		9		14.775		-0.889		-23.536		Yes		8/8/25 12:40		FLOAT RTK		28		1.14		0.59		0.97		9906		-1339		Yes		FLOAT RTK		3D		0.4		3289		4.417		3.129		0.63		10.826				WME		Water Meter

		UP1542		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1542		8/8/25 12:41		3725'53.2296"N		795'55.3173"W		99.159		244893.34		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		5.774		100		-113		9		12.624		2.737		33.445		Yes		8/8/25 12:41		RTK		28		1.14		0.59		0.97		9895		-1339		Yes		RTK		3D		0.4		3289		0.85		0.672		0.512		2.168				WME		Water Meter

		UP1543		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1543		8/8/25 12:42		3725'52.5074"N		795'56.8670"W		144.75		245038.09		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		13.009		100		-20		7		12.398		-0.752		67.582		Yes		8/8/25 12:42		RTK		28		1.14		0.59		0.97		9908		-1339		Yes		RTK		3D		0.6		3289		0.591		0.551		0.433		1.616				WME		Water Meter

		UP1544		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1544		8/8/25 12:44		3725'51.9600"N		795'58.8512"W		169.219		245207.308		0		UNKNOWN		159		32768		CLASSIC		OMNI PEAK		138		5.008		100		-25		8		10.665		-1.719		57.003		Yes		8/8/25 12:44		RTK		28		1.14		0.59		0.97		9983		-1339		Yes		RTK		3D		0.6		3289		1.27		0.948		0.591		3.17				WME		Water Meter

		UP1545		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1545		8/8/25 12:44		3725'51.8787"N		795'59.0790"W		20.12		245227.429		0		UNKNOWN		301		32768		CLASSIC		OMNI PEAK		138		2.567		100		-2		11		13.955		-1.014		10.698		Yes		8/8/25 12:44		RTK		28		1.14		0.59		0.97		9981		-1339		Yes		RTK		3D		0.4		3289		0.551		0.512		0.394		1.504				WME		Water Meter

		UP1546		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1546		8/8/25 12:45		3725'51.4092"N		796'1.0318"W		164.375		245391.804		0		UNKNOWN		23		32768		CLASSIC		OMNI PEAK		138		30.678		100		-21		6		15.645		0.585		23.369		Yes		8/8/25 12:45		RTK		28		1.14		0.59		0.97		10069		-1339		Yes		RTK		3D		0.6		3289		3.034		2.207		0.945		7.504				WME		Water Meter

		UP1547		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1547		8/8/25 12:46		3725'51.0962"N		796'2.5699"W		127.913		245519.717		0		UNKNOWN		35		32768		CLASSIC		OMNI PEAK		138		41.443		100		-1		6		15.755		-3.154		32.885		Yes		8/8/25 12:46		RTK		28		1.14		0.59		0.97		10075		-1339		Yes		RTK		3D		1.2		3289		0.85		0.672		0.551		2.168				WME		Water Meter

		UP1548		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1548		8/8/25 12:47		3725'50.8737"N		796'3.4540"W		74.712		245594.43		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		7.536		100		111		11		10.704		-1.793		60.665		Yes		8/8/25 12:47		RTK		28		1.14		0.59		0.97		10062		-1339		Yes		RTK		3D		0.8		3289		0.759		0.672		0.512		2.027				WME		Water Meter

		UP1549		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1549		8/8/25 12:49		3725'50.8541"N		796'3.8003"W		27.968		245622.398		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		3.698		100		20		6		9.471		-1.662		60.615		Yes		8/8/25 12:49		RTK		28		1.14		0.59		0.97		10059		-1339		Yes		RTK		3D		0.8		3289		0.672		0.591		0.472		1.789				WME		Water Meter

		UP1550		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1550		8/8/25 12:49		3725'50.8597"N		796'3.7733"W		2.241		245624.639		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		6.301		100		76		10		13.637		1.036		-62.425		Yes		8/8/25 12:49		RTK		28		1.14		0.59		0.97		10059		-1339		Yes		RTK		3D		1.2		3289		0.394		0.335		0.394		1.033				WME		Water Meter

		UP1551		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1551		8/8/25 12:52		3725'49.4206"N		796'7.1267"W		307.077		245931.716		0		UNKNOWN		15		32768		CLASSIC		OMNI PEAK		138		22.514		100		-7		9		12.637		0.139		18.452		Yes		8/8/25 12:52		RTK		28		1.14		0.59		0.97		10029		-1339		Yes		RTK		3D		0.8		3289		0.759		0.591		0.394		1.923				WME		Water Meter

		UP1552		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1552		8/8/25 12:59		3725'52.6349"N		795'55.4016"W		999.282		246930.998		0		UNKNOWN		33		32768		CLASSIC		OMNI PEAK		138		8.264		100		-6		9		15.605		-4.218		-31.958		Yes		8/8/25 12:59		RTK		29		1.13		0.59		0.96		9921		-1339		Yes		RTK		3D		0.8		3289		0.472		0.433		0.394		1.282				WME		Water Meter

		UP1553		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1553		8/8/25 13:00		3725'53.4994"N		795'53.9535"W		145.948		247076.946		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		4.413		100		-57		9		12.902		-0.525		29.754		Yes		8/8/25 13:00		RTK		29		1.13		0.59		0.96		9941		-1339		Yes		RTK		3D		0.6		3289		0.551		0.512		0.433		1.504				WME		Water Meter

		UP1554		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1554		8/8/25 13:04		3725'51.7881"N		795'47.7829"W		526.547		247603.493		0		UNKNOWN		368		32768		CLASSIC		OMNI PEAK		138		2.911		100		20		8		13.739		-0.894		-45.945		Yes		8/8/25 13:04		RTK		30		1.08		0.59		0.91		9976		-1339		Yes		RTK		3D		1.2		3289		3.402		2.522		0.984		8.469				WME		Water Meter

		UP1555		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1555		8/8/25 13:04		3725'52.0069"N		795'48.1266"W		35.488		247638.981		0		UNKNOWN		22		32768		CLASSIC		OMNI PEAK		138		10.213		100		-2		7		29.072		-5.515		72.688		Yes		8/8/25 13:04		RTK		30		1.08		0.59		0.91		9971		-1339		Yes		RTK		3D		0.8		3289		0.85		0.759		0.551		2.279				WME		Water Meter

		UP1556		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1556		8/8/25 13:55		3726'20.5059"N		795'33.7133"W		3115.669		250754.649		0		UNKNOWN		87		32768		CLASSIC		OMNI PEAK		138		45.024		100		11		2		15.416		-0.915		-20.867		Yes		8/8/25 13:55		FLOAT RTK		26		1.15		0.67		0.94		10422		-1339		Yes		FLOAT RTK		3D		1.8		3476		34.97		29.449		5.906		91.437				WME		Water Meter

		UP1557		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1557		8/8/25 13:57		3726'20.8306"N		795'34.9776"W		107.04		250861.69		0		UNKNOWN		37		32768		CLASSIC		OMNI PEAK		138		26.542		100		-3		6		15.824		0.012		-16.519		Yes		8/8/25 13:57		RTK		30		0.96		0.59		0.76		10319		-1339		Yes		RTK		3D		1		3476		0.433		0.35		0.394		1.114				WME		Water Meter

		UP1558		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1558		8/8/25 13:58		3726'20.9846"N		795'35.5370"W		47.694		250909.384		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		2.691		100		17		10		10.023		-3.096		81.443		Yes		8/8/25 13:58		RTK		30		1.03		0.63		0.81		10283		-1339		Yes		RTK		3D		0.8		3476		0.85		0.591		0.551		2.071				WME		Water Meter

		UP1559		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1559		8/8/25 14:03		3726'21.3031"N		795'39.2700"W		302.428		251211.812		0		UNKNOWN		10		32768		CLASSIC		OMNI PEAK		138		24.4		100		-2		10		12.103		-1.001		-29.684		Yes		8/8/25 14:03		RTK		30		1.03		0.6		0.84		10030		-1339		Yes		RTK		3D		0.6		3476		0.512		0.394		0.394		1.291				WME		Water Meter

		UP1560		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1560		8/8/25 14:04		3726'21.4482"N		795'40.1574"W		72.979		251284.79		0		UNKNOWN		158		32768		CLASSIC		OMNI PEAK		138		12.139		100		4		7		8.077		3.997		37.966		Yes		8/8/25 14:04		RTK		31		1.03		0.6		0.84		9934		-1339		Yes		RTK		3D		0.8		3476		1.05		0.85		0.591		2.702				WME		Water Meter

		UP1561		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1561		8/8/25 14:05		3726'22.2175"N		795'43.6548"W		292.33		251577.12		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		1.898		100		0		11		9.024		1.903		9.952		Yes		8/8/25 14:05		RTK		31		1.03		0.6		0.84		9871		-1339		Yes		RTK		3D		1		3476		1.05		0.85		0.63		2.702				WME		Water Meter

		UP1562		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1562		8/8/25 14:06		3726'22.4189"N		795'44.5960"W		78.524		251655.645		0		UNKNOWN		30		32768		CLASSIC		OMNI PEAK		138		100		100		-2		5		9.764		-0.918		-87.364		Yes		8/8/25 14:06		RTK		32		1.09		0.62		0.89		9797		-1339		Yes		RTK		3D		0.6		3476		1.64		0.948		0.709		3.789				WME		Water Meter

		UP1563		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1563		8/8/25 14:08		3726'22.5598"N		795'45.4323"W		68.86		251724.504		0		UNKNOWN		23		32768		CLASSIC		OMNI PEAK		138		100		100		-3		3		15.488		-0.052		69.738		Yes		8/8/25 14:08		RTK		31		1.04		0.59		0.85		9799		-1339		Yes		RTK		3D		1.2		3476		0.759		0.672		0.551		2.027				WME		Water Meter

		UP1564		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1564		8/8/25 14:09		3726'22.9859"N		795'47.4100"W		165.068		251889.572		0		UNKNOWN		18		32768		CLASSIC		OMNI PEAK		138		14.721		100		0		10		9.503		3.283		-28.277		Yes		8/8/25 14:09		RTK		32		1.04		0.59		0.85		9685		-1339		Yes		RTK		3D		1.4		3476		0.948		0.551		0.551		2.192				WME		Water Meter

		UP1565		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1565		8/8/25 14:09		3726'23.3312"N		795'48.5668"W		99.549		251989.12		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		3.644		100		-3		10		8.146		0.238		88.085		Yes		8/8/25 14:09		RTK		32		1.04		0.59		0.86		9584		-1339		Yes		RTK		3D		1		3476		1.27		0.85		0.591		3.057				WME		Water Meter

		UP1566		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1566		8/8/25 14:10		3726'23.5071"N		795'49.5338"W		79.91		252069.03		0		UNKNOWN		37		32768		CLASSIC		OMNI PEAK		138		25.821		100		-2		10		7.492		-0.853		-86.025		Yes		8/8/25 14:10		RTK		32		1.04		0.59		0.86		9533		-1339		Yes		RTK		3D		1.2		3476		0.672		0.512		0.433		1.689				WME		Water Meter

		UP1567		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1567		8/8/25 14:17		3726'21.9722"N		795'57.4681"W		657.816		252726.846		0		UNKNOWN		20		32768		CLASSIC		OMNI PEAK		138		13.019		100		-3		8		20.129		-2.442		-22.656		Yes		8/8/25 14:17		RTK		32		1.02		0.58		0.84		9035		-1339		Yes		RTK		3D		0.8		3476		0.591		0.472		0.433		1.513				WME		Water Meter

		UP1568		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1568		8/8/25 14:24		3726'23.4832"N		795'51.1196"W		533.864		253260.71		0		UNKNOWN		106		32768		CLASSIC		OMNI PEAK		138		4.778		100		11		8		8.121		-2.084		34.09		Yes		8/8/25 14:24		RTK		31		1.05		0.58		0.87		9479		-1339		Yes		RTK		3D		0.8		3476		0.591		0.551		0.433		1.616				WME		Water Meter

		UP1569		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1569		8/8/25 14:26		3726'24.4628"N		795'53.4146"W		209.885		253470.595		0		UNKNOWN		57		32768		CLASSIC		OMNI PEAK		138		25.503		100		2		7		12.399		-1.792		86.307		Yes		8/8/25 14:26		RTK		31		1.05		0.58		0.88		9311		-1339		Yes		RTK		3D		0.8		3476		0.591		0.472		0.433		1.513				WME		Water Meter

		UP1570		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1570		8/8/25 14:28		3726'24.0705"N		795'54.8035"W		118.74		253589.334		0		UNKNOWN		165		32768		CLASSIC		OMNI PEAK		138		11.51		100		-26		10		9.478		3.914		25.4		Yes		8/8/25 14:28		RTK		31		1.12		0.62		0.94		9253		-1339		Yes		RTK		3D		1		3476		0.85		0.591		0.512		2.071				WME		Water Meter

		UP1571		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1571		8/8/25 14:29		3726'23.0243"N		795'56.5087"W		173.584		253762.918		0		UNKNOWN		17		32768		CLASSIC		OMNI PEAK		138		22.16		100		10		8		9.904		-0.439		-58.133		Yes		8/8/25 14:29		RTK		31		1.13		0.63		0.94		9168		-1339		Yes		RTK		3D		0.4		3476		5.081		3.034		1.102		11.837				WME		Water Meter

		UP1572		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1572		8/8/25 14:32		3726'21.0919"N		795'53.7445"W		296.67		254059.588		0		UNKNOWN		73		32768		CLASSIC		OMNI PEAK		138		5.489		100		-9		7		9.897		-1.899		63.87		Yes		8/8/25 14:32		RTK		30		1.06		0.57		0.9		9198		-1339		Yes		RTK		3D		0.4		3476		0.512		0.433		0.394		1.341				WME		Water Meter

		UP1573		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1573		8/8/25 14:36		3726'23.2165"N		795'50.1175"W		363.064		254422.652		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		5.488		100		-16		8		15.396		-1.487		69.686		Yes		8/8/25 14:36		RTK		31		1.07		0.57		0.9		9526		-1339		Yes		RTK		3D		0.6		3476		2.688		1.27		0.827		5.946				WME		Water Meter

		UP1574		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1574		8/8/25 14:45		3726'23.1861"N		795'49.7091"W		33.041		254455.693		0		UNKNOWN		22		32768		CLASSIC		OMNI PEAK		138		100		100		-4		6		13.828		0.575		-35.74		Yes		8/8/25 14:45		RTK		30		1.07		0.56		0.91		9547		-1339		Yes		RTK		3D		1		3476		0.512		0.394		0.394		1.291				WME		Water Meter

		UP1575		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1575		8/8/25 14:46		3726'22.9517"N		795'48.6874"W		85.665		254541.357		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		0.009		100		-13		13		17.306		-5.304		67.574		Yes		8/8/25 14:46		RTK		31		1.1		0.57		0.93		9606		-1339		Yes		RTK		3D		1.2		3476		0.433		0.343		0.394		1.104				WME		Water Meter

		UP1576		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1576		8/8/25 14:48		3726'22.5642"N		795'47.1937"W		126.578		254667.936		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		1.607		100		-12		7		10.401		1.2		-32.721		Yes		8/8/25 14:48		RTK		31		1.05		0.54		0.9		9732		-1339		Yes		RTK		3D		1.2		3476		0.512		0.472		0.433		1.393				WME		Water Meter

		UP1577		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1577		8/8/25 14:48		3726'22.2594"N		795'45.8191"W		114.966		254782.902		0		UNKNOWN		24		32768		CLASSIC		OMNI PEAK		138		90.807		100		-2		3		7.787		1.946		-64.555		Yes		8/8/25 14:48		RTK		31		1.05		0.54		0.9		9813		-1339		Yes		RTK		3D		1.2		3476		0.948		0.551		0.551		2.192				WME		Water Meter

		UP1578		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1578		8/8/25 14:49		3726'22.0502"N		795'44.6756"W		94.521		254877.423		0		UNKNOWN		380		32768		CLASSIC		OMNI PEAK		138		5.261		100		-17		8		9.89		0.38		-57.02		Yes		8/8/25 14:49		RTK		31		1.05		0.54		0.9		9857		-1339		Yes		RTK		3D		0.4		3476		1.27		0.672		0.669		2.874				WME		Water Meter

		UP1579		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1579		8/8/25 14:50		3726'21.7221"N		795'43.3387"W		112.714		254990.137		0		UNKNOWN		28		32768		CLASSIC		OMNI PEAK		138		61.863		100		-13		6		9.586		1.982		-15.583		Yes		8/8/25 14:50		RTK		31		1.04		0.54		0.9		9917		-1339		Yes		RTK		3D		0.6		3476		0.672		0.512		0.512		1.689				WME		Water Meter

		UP1580		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1580		8/8/25 14:50		3726'21.5266"N		795'42.3662"W		80.81		255070.947		0		UNKNOWN		64		32768		CLASSIC		OMNI PEAK		138		67.535		100		-12		11		8.839		-1.827		6.564		Yes		8/8/25 14:50		RTK		31		1.04		0.54		0.9		9943		-1339		Yes		RTK		3D		0.6		3476		0.433		0.358		0.394		1.124				WME		Water Meter

		UP1581		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1581		8/8/25 14:51		3726'21.2368"N		795'41.0681"W		108.621		255179.568		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		2.332		100		2		8		12.992		-0.502		22.908		Yes		8/8/25 14:51		RTK		31		1.04		0.54		0.9		9970		-1339		Yes		RTK		3D		1		3476		0.472		0.358		0.394		1.186				WME		Water Meter

		UP1582		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1582		8/8/25 14:52		3726'21.0340"N		795'39.9055"W		95.883		255275.45		0		UNKNOWN		95		32768		CLASSIC		OMNI PEAK		138		8.87		100		-18		10		10.595		-0.639		84.985		Yes		8/8/25 14:52		RTK		31		1.13		0.55		0.99		10002		-1339		Yes		RTK		3D		0.8		3476		0.591		0.394		0.433		1.42				WME		Water Meter

		UP1583		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1583		8/8/25 14:53		3726'20.9048"N		795'38.7583"W		93.33		255368.78		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		8.228		100		-9		8		15.966		-1.179		25.244		Yes		8/8/25 14:53		RTK		30		1.14		0.55		0.99		10103		-1339		Yes		RTK		3D		0.6		3476		0.591		0.433		0.433		1.465				WME		Water Meter

		UP1584		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1584		8/8/25 14:53		3726'20.7698"N		795'37.6420"W		90.96		255459.74		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		0.797		100		3		6		7.705		0.09		12.158		Yes		8/8/25 14:53		RTK		30		1.14		0.55		0.99		10176		-1339		Yes		RTK		3D		0.8		3476		1.157		0.551		0.63		2.564				WME		Water Meter

		UP1585		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1585		8/8/25 14:54		3726'20.6346"N		795'36.2950"W		109.368		255569.108		0		UNKNOWN		34		32768		CLASSIC		OMNI PEAK		138		60.43		100		1		4		12.46		-1.014		-87.725		Yes		8/8/25 14:54		RTK		30		1.22		0.58		1.07		10224		-1339		Yes		RTK		3D		1.2		3476		1.512		0.759		0.591		3.383				WME		Water Meter

		UP1586		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1586		8/8/25 14:55		3726'20.3426"N		795'34.9041"W		115.887		255684.995		0		UNKNOWN		39		32768		CLASSIC		OMNI PEAK		138		100		100		-2		2		10.745		2.17		78.371		Yes		8/8/25 14:55		RTK		30		1.22		0.58		1.07		10304		-1339		Yes		RTK		3D		0.6		3476		1.64		0.85		0.748		3.695				WME		Water Meter

		UP1587		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1587		8/8/25 15:00		3726'20.2291"N		795'30.9881"W		315.654		256000.649		0		UNKNOWN		122		32768		CLASSIC		OMNI PEAK		138		10.499		100		35		8		9.595		-0.308		83.456		Yes		8/8/25 15:00		RTK		29		1.23		0.58		1.08		10441		-1339		Yes		RTK		3D		1		3476		0.85		0.512		0.551		1.985				WME		Water Meter

		UP1588		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1588		8/8/25 15:01		3726'21.2917"N		795'29.5250"W		159.723		256160.371		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		1.339		100		10		12		8.96		-0.124		88.37		Yes		8/8/25 15:01		RTK		30		1.23		0.58		1.08		10394		-1339		Yes		RTK		3D		1.2		3476		2.058		1.27		0.866		4.837				WME		Water Meter

		UP1589		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1589		8/8/25 15:05		3726'22.1110"N		795'28.4577"W		119.578		256279.95		0		UNKNOWN		194		32768		CLASSIC		OMNI PEAK		138		8.267		100		4		8		12.524		-3.291		-45.585		Yes		8/8/25 15:05		RTK		30		1.22		0.58		1.08		10267		-1339		Yes		RTK		3D		0.4		3476		0.591		0.433		0.512		1.465				WME		Water Meter

		UP1590		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1590		8/8/25 15:07		3726'20.9375"N		795'28.6772"W		120.357		256400.307		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		2.413		100		-9		8		12.665		-1.524		-47.652		Yes		8/8/25 15:07		DGPS SPS VALID		29		1.22		0.58		1.07		10401		-1339		Yes		DIFFERENTIAL		3D		0.4		3476		4.465		3.508		4.724		11.356				WME		Water Meter

		UP1591		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1591		8/8/25 15:07		3726'20.9411"N		795'28.6736"W		0.473		256400.78		0		UNKNOWN		209		32768		CLASSIC		OMNI PEAK		138		4.839		100		-3		13		11.519		0.058		-30.467		Yes		8/8/25 15:08		RTK		29		1.22		0.58		1.07		10396		-1339		Yes		RTK		3D		0.4		3476		0.759		0.591		0.63		1.923				WME		Water Meter

		UP1592		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1592		8/8/25 15:09		3726'20.1944"N		795'30.2371"W		146.967		256547.748		0		UNKNOWN		32		32768		CLASSIC		OMNI PEAK		138		22.091		100		7		7		24.62		-1.138		-15.251		Yes		8/8/25 15:09		RTK		30		1.31		0.59		1.17		10439		-1339		Yes		RTK		3D		0.8		3476		0.512		0.394		0.433		1.291				WME		Water Meter

		UP1593		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1593		8/8/25 15:11		3726'18.2712"N		795'32.3256"W		257.624		256805.372		0		UNKNOWN		18		32768		CLASSIC		OMNI PEAK		138		28.611		100		4		4		9.166		-4.913		55.438		Yes		8/8/25 15:11		RTK		29		1.3		0.59		1.16		10331		-1339		Yes		RTK		3D		1		3476		1.27		0.85		0.827		3.057				WME		Water Meter

		UP1594		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1594		8/8/25 15:12		3726'16.9240"N		795'33.7546"W		178.691		256984.063		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		0.677		100		152		8		12.042		3.217		25.404		Yes		8/8/25 15:12		RTK		30		1.3		0.59		1.16		10329		-1339		Yes		RTK		3D		1.2		3476		0.472		0.472		0.472		1.336				WME		Water Meter

		UP1595		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1595		8/8/25 15:14		3726'15.0094"N		795'35.8963"W		259.797		257243.86		0		UNKNOWN		41		32768		CLASSIC		OMNI PEAK		138		38.82		100		1		7		13.52		-0.366		66.768		Yes		8/8/25 15:14		RTK		31		1.29		0.59		1.15		10181		-1339		Yes		RTK		3D		1.4		3476		0.551		0.433		0.512		1.402				WME		Water Meter

		UP1596		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1596		8/8/25 15:15		3726'13.9370"N		795'37.0428"W		142.7		257386.56		0		UNKNOWN		64		32768		CLASSIC		OMNI PEAK		138		11.576		100		-9		5		12.832		-2.003		19.362		Yes		8/8/25 15:15		RTK		31		1.29		0.59		1.15		10128		-1339		Yes		RTK		3D		0.6		3476		0.551		0.433		0.512		1.402				WME		Water Meter

		UP1597		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1597		8/8/25 15:18		3726'14.9363"N		795'36.6129"W		107.127		257493.687		0		UNKNOWN		108		32768		CLASSIC		OMNI PEAK		138		10.097		100		1		10		16.455		-2.166		30.082		Yes		8/8/25 15:18		RTK		32		1.15		0.57		1		10157		-1339		Yes		RTK		3D		1		3476		0.551		0.433		0.472		1.402				WME		Water Meter

		UP1598		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1598		8/8/25 15:21		3726'16.5573"N		795'34.8836"W		215.52		257709.206		0		UNKNOWN		28		32768		CLASSIC		OMNI PEAK		138		44.744		100		-4		4		23.949		-1.538		-1.136		Yes		8/8/25 15:21		RTK		31		1.26		0.59		1.11		10251		-1339		Yes		RTK		3D		1		3476		0.948		0.512		0.63		2.154				WME		Water Meter

		UP1599		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1599		8/8/25 15:21		3726'17.2726"N		795'34.1574"W		93.211		257802.417		0		UNKNOWN		85		32768		CLASSIC		OMNI PEAK		138		7.894		100		-4		9		13.089		-1.843		68.817		Yes		8/8/25 15:21		RTK		32		1.14		0.56		0.99		10305		-1339		Yes		RTK		3D		1.2		3476		0.759		0.512		0.591		1.83				WME		Water Meter

		UP1600		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1600		8/8/25 15:22		3726'16.5586"N		795'34.8855"W		93.207		257895.624		0		UNKNOWN		33		32768		CLASSIC		OMNI PEAK		138		48.705		100		-14		9		11.909		-6.688		84.176		Yes		8/8/25 15:22		RTK		32		1.09		0.55		0.94		10252		-1339		Yes		RTK		3D		1		3476		0.551		0.472		0.512		1.452				WME		Water Meter

		UP1601		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1601		8/8/25 15:24		3726'18.4634"N		795'32.8822"W		251.767		258147.391		0		UNKNOWN		67		32768		CLASSIC		OMNI PEAK		138		28.486		100		-5		11		19.935		-2.333		14.454		Yes		8/8/25 15:24		RTK		32		1.09		0.55		0.94		10341		-1339		Yes		RTK		3D		0.6		3476		0.433		0.358		0.394		1.124				WME		Water Meter

		UP1602		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1602		8/8/25 15:25		3726'19.7851"N		795'32.6330"W		135.573		258282.965		0.002		UNKNOWN		22919		32768		CLASSIC		OMNI PEAK		138		11.055		100		13		12		8.326		-3.404		37.522		Yes		8/8/25 15:25		RTK		32		1.09		0.55		0.94		10424		-1339		Yes		RTK		3D		0.8		3476		0.551		0.433		0.512		1.402				WME		Water Meter

		UP1603		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1603		8/9/25 11:08		3726'36.1874"N		795'43.8996"W		1895.407		260178.372		0		UNKNOWN		227		32768		CLASSIC		OMNI PEAK		138		4.816		100		-9		10		13.968		-1.407		44.36		Yes		8/9/25 11:08		RTK		23		1.06		0.62		0.86		9920		-1339		Yes		RTK		3D		0.8		3766		0.591		0.433		0.512		1.465				WME		Water Meter

		UP1604		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1604		8/9/25 11:11		3726'36.9542"N		795'47.9419"W		334.755		260513.127		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		15.25		100		2		12		13.821		1.423		57.878		Yes		8/9/25 11:11		RTK		32		0.95		0.53		0.78		9778		-1339		Yes		RTK		3D		0.8		3766		0.759		0.551		0.472		1.875				WME		Water Meter

		UP1605		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1605		8/9/25 11:12		3726'36.7285"N		795'50.7581"W		227.987		260741.114		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		1.393		100		-4		12		10.846		-2.488		-74.307		Yes		8/9/25 11:12		RTK		32		0.96		0.55		0.78		9652		-1339		Yes		RTK		3D		0.6		3766		0.512		0.472		0.394		1.393				WME		Water Meter

		UP1606		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1606		8/9/25 11:14		3726'36.6675"N		795'55.1754"W		355.851		261096.965		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		7.126		100		9		9		16.451		2.364		41.755		Yes		8/9/25 11:14		RTK		32		1.03		0.58		0.86		9592		-1339		Yes		RTK		3D		0.4		3766		0.591		0.551		0.512		1.616				WME		Water Meter

		UP1607		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1607		8/9/25 11:15		3726'36.5685"N		795'56.6205"W		116.836		261213.801		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		1.125		100		27		9		10.108		-4.395		66.06		Yes		8/9/25 11:15		RTK		32		1.04		0.57		0.86		9555		-1339		Yes		RTK		3D		1		3766		0.85		0.672		0.551		2.168				WME		Water Meter

		UP1608		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1608		8/9/25 11:16		3726'36.6453"N		795'58.2045"W		127.821		261341.623		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		1.318		100		-12		9		10.439		-3.779		-29.549		Yes		8/9/25 11:16		RTK		32		0.99		0.56		0.82		9467		-1339		Yes		RTK		3D		0.8		3766		0.591		0.512		0.394		1.563				WME		Water Meter

		UP1609		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1609		8/9/25 11:16		3726'36.6950"N		795'59.3879"W		95.451		261437.074		0		UNKNOWN		58		32768		CLASSIC		OMNI PEAK		138		4.694		100		18		5		7.074		-2.318		45.437		Yes		8/9/25 11:16		RTK		31		0.99		0.56		0.81		9369		-1339		Yes		RTK		3D		1		3766		0.591		0.512		0.433		1.563				WME		Water Meter

		UP1610		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1610		8/9/25 11:19		3726'36.9190"N		796'0.7917"W		115.338		261552.412		0		UNKNOWN		47		32768		CLASSIC		OMNI PEAK		138		17.526		100		1		11		9.472		0.866		-20.811		Yes		8/9/25 11:19		RTK		31		1.02		0.58		0.84		9259		-1339		Yes		RTK		3D		0.8		3766		1.27		0.759		0.591		2.959				WME		Water Meter

		UP1611		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1611		8/9/25 11:23		3726'37.2607"N		796'2.0900"W		110.169		261662.581		0		UNKNOWN		27		32768		CLASSIC		OMNI PEAK		138		18.634		100		-7		7		11.528		1.139		11.541		Yes		8/9/25 11:23		RTK		31		1.01		0.58		0.83		9146		-1339		Yes		RTK		3D		0.8		3766		0.472		0.394		0.394		1.23				WME		Water Meter

		UP1612		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1612		8/9/25 11:24		3726'36.2738"N		795'59.8899"W		203.541		261866.122		0		UNKNOWN		28		32768		CLASSIC		OMNI PEAK		138		100		100		3		3		11.133		0.607		69.05		Yes		8/9/25 11:24		RTK		31		1.01		0.58		0.83		9355		-1339		Yes		RTK		3D		0.6		3766		0.551		0.512		0.394		1.504				WME		Water Meter

		UP1613		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1613		8/9/25 11:25		3726'36.1632"N		795'59.1270"W		62.466		261928.589		0		UNKNOWN		27		32768		CLASSIC		OMNI PEAK		138		100		100		-7		7		9.65		-0.974		-33.398		Yes		8/9/25 11:25		RTK		31		1.01		0.58		0.82		9420		-1339		Yes		RTK		3D		1.2		3766		0.512		0.433		0.394		1.341				WME		Water Meter

		UP1614		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1614		8/9/25 11:25		3726'36.1157"N		795'57.7649"W		109.817		262038.406		0		UNKNOWN		122		32768		CLASSIC		OMNI PEAK		138		7.955		100		-27		7		13.972		0.122		-15.686		Yes		8/9/25 11:25		RTK		31		1.01		0.58		0.82		9491		-1339		Yes		RTK		3D		1.2		3766		0.433		0.382		0.394		1.155				WME		Water Meter

		UP1615		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1615		8/9/25 11:27		3726'36.1563"N		795'54.3682"W		273.626		262312.033		0		UNKNOWN		45		32768		CLASSIC		OMNI PEAK		138		5.011		100		18		7		8.974		-3.548		55.892		Yes		8/9/25 11:27		RTK		31		1.05		0.61		0.86		9568		-1339		Yes		RTK		3D		1		3766		0.472		0.358		0.394		1.186				WME		Water Meter

		UP1616		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1616		8/9/25 11:32		3726'33.7815"N		795'40.0672"W		1176.835		263488.867		0		UNKNOWN		86		32768		CLASSIC		OMNI PEAK		138		2.251		100		-39		8		6.399		-3.701		-27.077		Yes		8/9/25 11:32		RTK		29		1.14		0.66		0.92		10087		-1339		Yes		RTK		3D		0.8		3766		0.591		0.512		0.512		1.563				WME		Water Meter

		UP1617		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1617		8/9/25 11:34		3726'33.5953"N		795'39.1237"W		78.311		263567.178		0		UNKNOWN		99		32768		CLASSIC		OMNI PEAK		138		6.818		100		54		9		14.007		-4.259		24.002		Yes		8/9/25 11:34		RTK		29		1.17		0.66		0.96		10115		-1339		Yes		RTK		3D		0.6		3766		1.157		1.05		0.709		3.125				WME		Water Meter

		UP1618		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1618		8/9/25 11:36		3726'33.3121"N		795'35.2198"W		315.762		263882.94		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		2.793		100		-1		11		11.642		-0.379		46.424		Yes		8/9/25 11:36		FLOAT RTK		32		1.09		0.63		0.89		10303		-1339		Yes		FLOAT RTK		3D		0.8		3766		5.338		3.681		0.984		12.968				WME		Water Meter

		UP1619		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1619		8/9/25 11:37		3726'33.3011"N		795'33.6804"W		123.998		264006.938		0		UNKNOWN		39		32768		CLASSIC		OMNI PEAK		138		7.99		100		-25		8		10.44		-4.183		-90.177		Yes		8/9/25 11:37		RTK		32		1.23		0.67		1.03		10372		-1339		Yes		RTK		3D		1		3766		0.948		0.759		0.669		2.427				WME		Water Meter

		UP1620		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1620		8/9/25 11:39		3726'33.3578"N		795'31.5642"W		170.549		264177.487		0		UNKNOWN		97		32768		CLASSIC		OMNI PEAK		138		100		100		-6		3		6.946		1.237		-39.009		Yes		8/9/25 11:39		RTK		32		1.23		0.67		1.03		10469		-1339		Yes		RTK		3D		0.6		3766		1.388		1.157		0.748		3.615				WME		Water Meter

		UP1621		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1621		8/9/25 11:50		3726'33.3998"N		795'27.7627"W		306.234		264483.721		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		0.087		100		-233		11		11.778		-0.702		-28.635		Yes		8/9/25 11:50		RTK		30		1.17		0.65		0.97		10565		-1339		Yes		RTK		3D		0.6		3766		1.64		1.388		0.827		4.298				WME		Water Meter

		UP1622		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1622		8/9/25 11:51		3726'33.8650"N		795'31.2589"W		285.54		264769.261		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		0.552		100		20		6		12.703		-3.77		35.059		Yes		8/9/25 11:51		RTK		29		1.21		0.69		0.99		10447		-1339		Yes		RTK		3D		1.4		3766		2.688		0.759		0.827		5.585				WME		Water Meter

		UP1623		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1623		8/9/25 11:52		3726'33.7653"N		795'32.4890"W		99.592		264868.853		0		UNKNOWN		42		32768		CLASSIC		OMNI PEAK		138		100		100		-8		10		10.076		-0.478		-72.915		Yes		8/9/25 11:52		RTK		30		1.17		0.65		0.98		10406		-1339		Yes		RTK		3D		0.4		3766		1.512		0.948		0.787		3.568				WME		Water Meter

		UP1624		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1624		8/9/25 11:53		3726'33.7563"N		795'33.7700"W		103.186		264972.039		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		0.149		100		-92		3		26.289		-4.223		55.446		Yes		8/9/25 11:53		RTK		30		1.3		0.68		1.11		10354		-1339		Yes		RTK		3D		1.2		3766		1.64		1.05		0.748		3.895				WME		Water Meter

		UP1625		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1625		8/9/25 11:53		3726'33.7567"N		795'34.9652"W		96.274		265068.313		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		0.018		100		-69		12		9.714		-2.532		-4.668		Yes		8/9/25 11:53		RTK		29		1.17		0.65		0.98		10294		-1339		Yes		RTK		3D		1.4		3766		1.05		0.948		0.787		2.828				WME		Water Meter

		UP1626		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1626		8/9/25 11:54		3726'33.8468"N		795'36.4100"W		116.729		265185.042		0		UNKNOWN		87		32768		CLASSIC		OMNI PEAK		138		14.429		100		-4		8		13.424		2.151		47.061		Yes		8/9/25 11:54		RTK		29		1.17		0.65		0.98		10229		-1339		Yes		RTK		3D		0.8		3766		1.05		0.85		0.63		2.702				WME		Water Meter

		UP1627		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1627		8/9/25 11:55		3726'33.9371"N		795'37.6689"W		101.821		265286.863		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		7.988		100		8		9		12.061		-1.412		83.965		Yes		8/9/25 11:55		RTK		30		1.18		0.65		0.98		10171		-1339		Yes		RTK		3D		0.8		3766		2.207		1.27		0.984		5.094				WME		Water Meter

		UP1628		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1628		8/9/25 11:56		3726'34.0604"N		795'38.7821"W		90.531		265377.394		0		UNKNOWN		17		32768		CLASSIC		OMNI PEAK		138		11.381		100		-1		9		9.078		-0.071		-16.666		Yes		8/9/25 11:56		RTK		29		1.21		0.7		0.99		10128		-1339		Yes		RTK		3D		0.8		3766		1.388		0.948		0.709		3.362				WME		Water Meter

		UP1629		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1629		8/9/25 11:57		3726'34.3112"N		795'39.8970"W		93.339		265470.734		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		1.153		100		-1		9		12.371		-2.703		-22.613		Yes		8/9/25 11:57		RTK		30		1.18		0.65		0.98		10087		-1339		Yes		RTK		3D		0.4		3766		1.05		0.672		0.591		2.493				WME		Water Meter

		UP1630		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1630		8/9/25 11:58		3726'35.1200"N		795'41.5690"W		157.701		265628.435		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		2.96		100		-1		10		12.208		0.148		-3.454		Yes		8/9/25 11:58		RTK		30		1.25		0.68		1.05		10020		-1339		Yes		RTK		3D		0.8		3766		1.27		0.948		0.709		3.17				WME		Water Meter

		UP1631		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1631		8/9/25 12:02		3726'34.6743"N		795'42.0415"W		59.102		265687.537		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		5.322		100		0		9		13.849		-2.223		-71.897		Yes		8/9/25 12:02		FLOAT RTK		31		1.11		0.63		0.91		9991		-1339		Yes		FLOAT RTK		3D		0.8		3766		10.123		7.73		1.417		25.474				WME		Water Meter

		UP1632		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1632		8/9/25 12:09		3726'29.7366"N		795'25.6335"W		1413.384		267100.921		0		UNKNOWN		7		32768		CLASSIC		OMNI PEAK		138		100		100		3		9		14.511		-2.549		-4.632		Yes		8/9/25 12:09		RTK		30		1.28		0.67		1.09		10450		-1339		Yes		RTK		3D		0.4		3766		0.591		0.512		0.472		1.563				WME		Water Meter

		UP1633		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1633		8/9/25 12:10		3726'29.7583"N		795'25.6401"W		2.26		267103.181		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		13.616		100		0		12		13.438		-1.609		-61.199		Yes		8/9/25 12:10		RTK		30		1.28		0.67		1.09		10448		-1339		Yes		RTK		3D		1		3766		0.433		0.382		0.394		1.155				WME		Water Meter

		UP1634		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1634		8/9/25 12:11		3726'30.3450"N		795'25.8652"W		62.218		267165.399		0		UNKNOWN		5		32768		CLASSIC		OMNI PEAK		138		100		100		4		14		9.817		-2.709		-75.003		Yes		8/9/25 12:11		RTK		30		1.29		0.67		1.1		10473		-1339		Yes		RTK		3D		1		3766		0.948		0.759		0.591		2.427				WME		Water Meter

		UP1635		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1635		8/9/25 12:11		3726'30.3607"N		795'25.8877"W		2.416		267167.815		0		UNKNOWN		19		32768		CLASSIC		OMNI PEAK		138		44.157		100		0		13		14.35		3.983		-53.35		Yes		8/9/25 12:11		RTK		30		1.29		0.67		1.1		10477		-1339		Yes		RTK		3D		2.4		3766		0.85		0.591		0.551		2.071				WME		Water Meter

		UP1636		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1636		8/9/25 12:11		3726'30.3848"N		795'25.8914"W		2.465		267170.28		0		UNKNOWN		17		32768		CLASSIC		OMNI PEAK		138		96.395		100		2		5		13.516		1.207		-13.78		Yes		8/9/25 12:11		RTK		30		1.29		0.67		1.1		10475		-1339		Yes		RTK		3D		1.4		3766		0.672		0.374		0.394		1.538				WME		Water Meter

		UP1637		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1637		8/9/25 12:11		3726'30.4084"N		795'25.9025"W		2.554		267172.834		0		UNKNOWN		14		32768		CLASSIC		OMNI PEAK		138		75.348		100		-4		8		15.145		0.717		73.08		Yes		8/9/25 12:11		RTK		30		1.29		0.67		1.1		10475		-1339		Yes		RTK		3D		0.6		3766		1.05		0.759		0.63		2.59				WME		Water Meter

		UP1638		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1638		8/9/25 12:12		3726'31.2628"N		795'26.3052"W		92.547		267265.381		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		138		100		100		-3		10		10.814		1.517		2.576		Yes		8/9/25 12:12		RTK		30		1.29		0.67		1.1		10523		-1339		Yes		RTK		3D		0.4		3766		0.85		0.591		0.591		2.071				WME		Water Meter

		UP1639		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1639		8/9/25 12:15		3726'29.1536"N		795'23.5019"W		311.078		267576.459		0		UNKNOWN		68		32768		CLASSIC		OMNI PEAK		138		58.716		100		14		8		9.443		3.262		-10.295		Yes		8/9/25 12:15		RTK		30		1.3		0.67		1.11		10489		-1339		Yes		RTK		3D		0.8		3766		0.551		0.433		0.394		1.402				WME		Water Meter

		UP1640		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1640		8/9/25 12:17		3726'29.8706"N		795'23.3282"W		74.073		267650.532		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		31.833		100		3		10		8.779		-2.346		8.281		Yes		8/9/25 12:17		RTK		29		1.31		0.69		1.12		10559		-1339		Yes		RTK		3D		0.8		3766		1.27		0.759		0.591		2.959				WME		Water Meter

		UP1641		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1641		8/9/25 12:18		3726'31.0981"N		795'22.8154"W		131.198		267781.73		0		UNKNOWN		9		32768		CLASSIC		OMNI PEAK		138		100		100		0		11		14.697		-0.866		82.364		Yes		8/9/25 12:18		RTK		29		1.31		0.67		1.12		10631		-1339		Yes		RTK		3D		0.8		3766		0.672		0.472		0.433		1.643				WME		Water Meter

		UP1642		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1642		8/9/25 12:19		3726'31.9296"N		795'22.5379"W		87.269		267868.999		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		138		100		100		0		7		9.929		4.687		84.433		Yes		8/9/25 12:19		RTK		30		1.35		0.7		1.16		10624		-1339		Yes		RTK		3D		1		3766		1.512		0.948		0.748		3.568				WME		Water Meter

		UP1643		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1643		8/9/25 12:20		3726'32.7810"N		795'22.1171"W		92.791		267961.79		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		62.017		100		-3		9		12.14		2.353		82.912		Yes		8/9/25 12:20		RTK		31		1.35		0.7		1.16		10584		-1339		Yes		RTK		3D		0.6		3766		0.472		0.382		0.394		1.215				WME		Water Meter

		UP1644		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1644		8/9/25 12:21		3726'32.9513"N		795'21.0200"W		90.041		268051.832		0		UNKNOWN		27		32768		CLASSIC		OMNI PEAK		138		83.971		100		1		11		10.818		-1.056		-75.872		Yes		8/9/25 12:21		RTK		29		1.36		0.7		1.16		10568		-1339		Yes		RTK		3D		1.4		3766		0.512		0.433		0.433		1.341				WME		Water Meter

		UP1645		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1645		8/9/25 12:24		3726'33.4696"N		795'20.7210"W		57.84		268109.672		0		UNKNOWN		19		32768		CLASSIC		OMNI PEAK		138		45.137		100		-6		9		12.988		-1.07		45.404		Yes		8/9/25 12:24		RTK		31		1.16		0.64		0.97		10527		-1339		Yes		RTK		3D		1.2		3766		0.591		0.472		0.472		1.513				WME		Water Meter

		UP1646		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1646		8/9/25 12:24		3726'33.5153"N		795'20.6830"W		5.555		268115.227		0		UNKNOWN		60		32768		CLASSIC		OMNI PEAK		138		47.694		100		0		13		10.733		-1.22		-76.011		Yes		8/9/25 12:24		RTK		30		1.37		0.7		1.17		10527		-1339		Yes		RTK		3D		0.8		3766		1.27		0.948		0.709		3.17				WME		Water Meter

		UP1647		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1647		8/9/25 12:25		3726'35.1864"N		795'20.4055"W		171.001		268286.228		0		UNKNOWN		9		32768		CLASSIC		OMNI PEAK		138		100		100		-1		11		9.449		-0.86		-2.985		Yes		8/9/25 12:25		FLOAT RTK		29		1.37		0.7		1.18		10463		-1339		Yes		FLOAT RTK		3D		1.2		3766		3.313		2.577		0.551		8.394				WME		Water Meter

		UP1648		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1648		8/9/25 12:26		3726'35.1856"N		795'20.4060"W		0.089		268286.317		0		UNKNOWN		14		32768		CLASSIC		OMNI PEAK		138		69.134		100		-2		10		9.999		-2.334		63.854		Yes		8/9/25 12:26		FLOAT RTK		29		1.37		0.7		1.18		10465		-1339		Yes		FLOAT RTK		3D		1.2		3766		3.313		2.577		0.472		8.394				WME		Water Meter

		UP1649		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1649		8/9/25 12:29		3726'30.1522"N		795'22.2675"W		532.203		268818.52		0		UNKNOWN		8		32768		CLASSIC		OMNI PEAK		138		100		100		0		8		17.544		1.438		64.239		Yes		8/9/25 12:29		RTK		28		1.38		0.7		1.19		10569		-1339		Yes		RTK		3D		1.2		3766		1.05		0.85		0.63		2.702				WME		Water Meter

		UP1650		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1650		8/9/25 12:31		3726'28.5697"N		795'22.9517"W		169.744		268988.264		0		UNKNOWN		52		32768		CLASSIC		OMNI PEAK		138		74.787		100		7		9		19.871		1.784		0.558		Yes		8/9/25 12:31		FLOAT RTK		29		1.33		0.68		1.14		10501		-1339		Yes		FLOAT RTK		3D		0.8		3766		7.546		4.969		1.181		18.071				WME		Water Meter

		UP1651		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1651		8/9/25 12:35		3726'27.4794"N		795'22.9025"W		110.683		269098.947		0		UNKNOWN		33		32768		CLASSIC		OMNI PEAK		138		83.121		100		-1		12		15.679		-6.38		61.35		Yes		8/9/25 12:35		RTK		29		1.39		0.71		1.2		10400		-1339		Yes		RTK		3D		0.8		3766		0.85		0.672		0.551		2.168				WME		Water Meter

		UP1652		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1652		8/9/25 12:35		3726'27.4531"N		795'22.9201"W		3.021		269101.968		0		UNKNOWN		9		32768		CLASSIC		OMNI PEAK		138		94.369		100		-6		11		17.292		0.08		14.666		Yes		8/9/25 12:35		RTK		28		1.39		0.71		1.2		10400		-1339		Yes		RTK		3D		0.4		3766		0.672		0.551		0.472		1.738				WME		Water Meter

		UP1653		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1653		8/9/25 12:38		3726'25.1526"N		795'24.1581"W		253.795		269355.763		0		UNKNOWN		334		32768		CLASSIC		OMNI PEAK		138		31.215		100		20		5		11.788		-1.35		52.577		Yes		8/9/25 12:38		RTK		29		1.18		0.63		1		10295		-1339		Yes		RTK		3D		1.2		3766		1.157		0.759		0.591		2.768				WME		Water Meter

		UP1654		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1654		8/9/25 12:39		3726'24.4829"N		795'24.6548"W		78.847		269434.61		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		56.024		100		0		12		11.343		-2.15		-14.838		Yes		8/9/25 12:39		RTK		30		1.12		0.61		0.93		10292		-1339		Yes		RTK		3D		1.2		3766		0.672		0.512		0.472		1.689				WME		Water Meter

		UP1655		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1655		8/9/25 12:41		3726'23.9976"N		795'24.7913"W		50.447		269485.057		0		UNKNOWN		140		32768		CLASSIC		OMNI PEAK		138		23.894		100		0		8		10.669		-0.92		-55.731		Yes		8/9/25 12:41		RTK		30		1.12		0.61		0.93		10261		-1339		Yes		RTK		3D		0.4		3766		1.27		0.948		0.63		3.17				WME		Water Meter

		UP1656		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1656		8/9/25 12:43		3726'24.1976"N		795'26.0599"W		104.181		269589.238		0		UNKNOWN		1145		32768		CLASSIC		OMNI PEAK		138		68.289		100		4		11		10.516		-0.816		65.94		Yes		8/9/25 12:43		RTK		30		1.18		0.63		1		10186		-1339		Yes		RTK		3D		0.6		3766		0.672		0.551		0.472		1.738				WME		Water Meter

		UP1657		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1657		8/9/25 12:44		3726'25.0437"N		795'25.4446"W		99.111		269688.349		0		UNKNOWN		42		32768		CLASSIC		OMNI PEAK		138		34.449		100		-5		7		14.936		-0.014		38.309		Yes		8/9/25 12:44		RTK		29		1.11		0.61		0.93		10256		-1339		Yes		RTK		3D		1		3766		0.948		0.672		0.512		2.323				WME		Water Meter

		UP1658		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1658		8/9/25 12:55		3726'26.6528"N		795'24.6481"W		175.401		269863.75		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		26.511		100		9		10		9.004		-0.362		-24.056		Yes		8/9/25 12:55		RTK		31		1.18		0.64		0.99		10347		-1339		Yes		RTK		3D		0.6		3766		0.512		0.472		0.394		1.393				WME		Water Meter

		UP1659		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1659		8/9/25 13:16		3726'23.2562"N		795'25.2207"W		347.655		270211.405		0		UNKNOWN		29		32768		CLASSIC		OMNI PEAK		138		89.915		100		23		10		12.559		2.805		11.464		Yes		8/9/25 13:16		RTK		31		1.06		0.59		0.88		10236		-1339		Yes		RTK		3D		1.8		3766		0.672		0.551		0.433		1.738				WME		Water Meter

		UP1660		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1660		8/9/25 13:17		3726'22.2470"N		795'26.0978"W		124.401		270335.806		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		100		100		0		9		11.502		0.466		41.989		Yes		8/9/25 13:17		RTK		32		1.06		0.59		0.88		10286		-1339		Yes		RTK		3D		0.6		3766		1.913		1.512		0.787		4.877				WME		Water Meter

		UP1661		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1661		8/9/25 13:18		3726'21.4017"N		795'26.4644"W		90.692		270426.498		0		UNKNOWN		11		32768		CLASSIC		OMNI PEAK		138		95.839		100		7		8		5.759		1.557		60.606		Yes		8/9/25 13:18		RTK		31		1.06		0.59		0.88		10353		-1339		Yes		RTK		3D		1		3766		0.85		0.759		0.472		2.279				WME		Water Meter

		UP1662		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1662		8/9/25 13:21		3726'22.5608"N		795'27.2672"W		134.203		270560.701		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		15.689		100		-1		9		9.935		-1.625		67.729		Yes		8/9/25 13:21		RTK		31		0.94		0.54		0.77		10230		-1339		Yes		RTK		3D		0.6		3766		1.157		0.85		0.551		2.873				WME		Water Meter

		UP1663		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1663		8/9/25 13:22		3726'22.0913"N		795'27.8861"W		68.951		270629.652		0		UNKNOWN		27		32768		CLASSIC		OMNI PEAK		138		66.224		100		-2		7		11.233		-7.295		39.295		Yes		8/9/25 13:22		RTK		31		1.09		0.62		0.9		10288		-1339		Yes		RTK		3D		1.2		3766		1.64		1.157		0.709		4.015				WME		Water Meter

		UP1664		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1664		8/9/25 13:29		3726'14.0330"N		795'19.8628"W		1042.124		271671.777		0		UNKNOWN		60		32768		CLASSIC		OMNI PEAK		138		70.828		100		-4		10		10.649		0.176		-67.335		Yes		8/9/25 13:30		RTK		32		0.99		0.57		0.81		10130		-1339		Yes		RTK		3D		1.2		3766		0.85		0.85		0.551		2.405				WME		Water Meter

		UP1665		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1665		8/9/25 13:30		3726'14.0139"N		795'19.8457"W		2.381		271674.158		0		UNKNOWN		14		32768		CLASSIC		OMNI PEAK		138		100		100		1		6		13.924		0.572		18.017		Yes		8/9/25 13:30		RTK		30		0.99		0.57		0.81		10129		-1339		Yes		RTK		3D		1.2		3766		0.672		0.591		0.472		1.789				WME		Water Meter

		UP1666		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1666		8/9/25 13:32		3726'12.7164"N		795'18.5678"W		167.099		271841.257		0		UNKNOWN		11		32768		CLASSIC		OMNI PEAK		138		86.557		100		-1		8		7.79		-0.37		1.542		Yes		8/9/25 13:32		RTK		32		1.1		0.62		0.9		10003		-1339		Yes		RTK		3D		1.2		3766		2.207		1.388		0.827		5.215				WME		Water Meter

		UP1667		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1667		8/9/25 13:35		3726'11.1794"N		795'17.1644"W		192.601		272033.858		0		UNKNOWN		95		32768		CLASSIC		OMNI PEAK		138		47.886		100		-2		10		12.383		3.987		50.693		Yes		8/9/25 13:35		RTK		31		1.13		0.63		0.94		9879		-1339		Yes		RTK		3D		0.6		3766		3.402		2.362		1.063		8.283				WME		Water Meter

		UP1668		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1668		8/9/25 13:38		3726'9.6984"N		795'15.5327"W		199.628		272233.487		0		UNKNOWN		30		32768		CLASSIC		OMNI PEAK		138		50.489		100		12		12		6.931		0.962		80.659		Yes		8/9/25 13:38		RTK		32		1.03		0.59		0.84		9843		-1339		Yes		RTK		3D		0.8		3766		0.672		0.591		0.472		1.789				WME		Water Meter

		UP1669		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1669		8/9/25 13:39		3726'9.7306"N		795'14.9481"W		47.208		272280.695		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		23.636		100		-4		11		4.922		-0.743		69.724		Yes		8/9/25 13:39		RTK		32		0.94		0.56		0.76		9846		-1339		Yes		RTK		3D		0.4		3766		0.948		0.591		0.512		2.233				WME		Water Meter

		UP1670		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1670		8/9/25 13:40		3726'8.9116"N		795'13.8966"W		118.651		272399.346		0		UNKNOWN		39		32768		CLASSIC		OMNI PEAK		138		71.475		100		1		9		6.412		-1.577		-17.884		Yes		8/9/25 13:40		RTK		32		0.94		0.56		0.76		9823		-1339		Yes		RTK		3D		0.8		3766		0.672		0.512		0.472		1.689				WME		Water Meter

		UP1671		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1671		8/9/25 13:44		3726'8.3864"N		795'13.6581"W		56.645		272455.991		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		3.633		100		2		10		10.273		-2.616		-5.3		Yes		8/9/25 13:44		RTK		32		1.1		0.61		0.91		9804		-1339		Yes		RTK		3D		0.6		3766		1.913		0.85		0.748		4.188				WME		Water Meter

		UP1672		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1672		8/9/25 13:47		3726'6.4765"N		795'11.2077"W		276.601		272732.592		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		2.491		100		-1		12		22.046		-1.287		-43.292		Yes		8/9/25 13:47		RTK		30		1.17		0.64		0.98		9781		-1340		Yes		RTK		3D		0.4		3766		0.472		0.433		0.394		1.282				WME		Water Meter

		UP1673		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1673		8/9/25 13:47		3726'6.4785"N		795'11.2069"W		0.218		272732.81		0		UNKNOWN		95		32768		CLASSIC		OMNI PEAK		138		51.637		100		3		7		41.188		-5.272		39.55		Yes		8/9/25 13:47		RTK		29		1.13		0.62		0.94		9783		-1340		Yes		RTK		3D		0.8		3766		0.512		0.433		0.394		1.341				WME		Water Meter

		UP1674		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1674		8/9/25 18:49		3726'3.2696"N		795'38.3854"W		2213.473		274946.283		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		5.433		100		18		10		12.609		-2.138		22.506		Yes		8/9/25 18:49		RTK		16		1.91		1.21		1.48		10389		-1339		Yes		RTK		3D		1		3826		0.759		0.394		0.394		1.709				WME		Water Meter

		UP1675		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1675		8/9/25 18:49		3726'3.2693"N		795'38.3865"W		0.092		274946.375		0		UNKNOWN		13		32768		CLASSIC		OMNI PEAK		138		13.159		100		0		12		16.555		-1.951		55.858		Yes		8/9/25 18:49		RTK		16		1.91		1.21		1.48		10388		-1339		Yes		RTK		3D		3.4		3826		1.05		0.472		0.433		2.303				WME		Water Meter

		UP1676		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1676		8/9/25 18:56		3726'2.5642"N		795'37.1810"W		120.61		275066.985		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		38.171		100		-4		11		11.489		-1.677		19.46		Yes		8/9/25 18:56		RTK		30		0.99		0.58		0.81		10187		-1339		Yes		RTK		3D		1		3826		1.27		0.591		0.472		2.802				WME		Water Meter

		UP1677		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1677		8/9/25 18:58		3726'0.7501"N		795'35.6950"W		219.546		275286.532		0		UNKNOWN		28		32768		CLASSIC		OMNI PEAK		138		53.373		100		-1		11		14.301		0.825		51.176		Yes		8/9/25 18:58		RTK		28		0.98		0.58		0.8		10047		-1339		Yes		RTK		3D		0.6		3826		0.85		0.512		0.394		1.985				WME		Water Meter

		UP1678		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1678		8/9/25 18:58		3726'1.2001"N		795'36.1268"W		57.396		275343.927		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		62.975		100		-1		13		8.887		-2.312		70.814		Yes		8/9/25 18:58		RTK		28		0.98		0.58		0.8		10120		-1339		Yes		RTK		3D		1.2		3826		2.058		0.512		0.512		4.241				WME		Water Meter

		UP1679		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1679		8/9/25 19:01		3726'0.1113"N		795'35.2081"W		132.964		275476.892		0		UNKNOWN		91		32768		CLASSIC		OMNI PEAK		138		80.121		100		11		8		14.705		-2.648		-85.184		Yes		8/9/25 19:01		RTK		31		1.05		0.62		0.85		9993		-1339		Yes		RTK		3D		1		3826		0.551		0.311		0.394		1.266				WME		Water Meter

		UP1680		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1680		8/9/25 19:01		3726'0.1311"N		795'35.2247"W		2.411		275479.303		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		100		100		-3		9		18.947		-2.17		12.976		Yes		8/9/25 19:02		RTK		31		0.97		0.57		0.78		9996		-1339		Yes		RTK		3D		0.6		3826		0.472		0.315		0.394		1.136				WME		Water Meter

		UP1681		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1681		8/9/25 19:02		3726'0.0410"N		795'35.1837"W		9.71		275489.013		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		138		100		100		0		10		13.869		0.265		7.487		Yes		8/9/25 19:02		RTK		31		0.97		0.57		0.78		9994		-1339		Yes		RTK		3D		0.8		3826		0.591		0.394		0.394		1.42				WME		Water Meter

		UP1682		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1682		8/9/25 19:02		3725'59.3279"N		795'34.5547"W		88.329		275577.342		0		UNKNOWN		63		32768		CLASSIC		OMNI PEAK		138		29.77		100		-20		8		11.116		-2.542		60.905		Yes		8/9/25 19:02		RTK		31		0.96		0.57		0.78		9948		-1339		Yes		RTK		3D		1.2		3826		0.512		0.335		0.394		1.223				WME		Water Meter

		UP1683		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1683		8/9/25 19:03		3725'59.2666"N		795'34.4886"W		8.187		275585.529		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		20.379		100		0		9		13.813		-4.445		5.119		Yes		8/9/25 19:03		RTK		31		1.04		0.62		0.84		9946		-1339		Yes		RTK		3D		1.2		3826		0.591		0.382		0.394		1.407				WME		Water Meter

		UP1684		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1684		8/9/25 19:03		3725'58.6455"N		795'33.9268"W		77.58		275663.109		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		2.908		100		46		9		9.434		-1.48		66.314		Yes		8/9/25 19:03		RTK		31		1.04		0.62		0.83		9911		-1339		Yes		RTK		3D		1		3826		0.512		0.433		0.394		1.341				WME		Water Meter

		UP1685		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1685		8/9/25 19:06		3725'57.5816"N		795'33.0991"W		126.867		275789.975		0		UNKNOWN		20		32768		CLASSIC		OMNI PEAK		138		57.398		100		0		12		10.974		-0.988		-29.228		Yes		8/9/25 19:06		RTK		32		1.03		0.61		0.82		9881		-1339		Yes		RTK		3D		0.6		3826		0.672		0.433		0.394		1.599				WME		Water Meter

		UP1686		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1686		8/9/25 19:06		3725'57.5398"N		795'33.0678"W		4.932		275794.907		0		UNKNOWN		59		32768		CLASSIC		OMNI PEAK		138		39.375		100		0		13		11.54		-1.262		-55.057		Yes		8/9/25 19:06		RTK		32		1.02		0.61		0.82		9884		-1339		Yes		RTK		3D		0.6		3826		0.672		0.512		0.394		1.689				WME		Water Meter

		UP1687		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1687		8/9/25 19:07		3725'55.6543"N		795'31.6118"W		224.387		276019.294		0		UNKNOWN		417		32768		CLASSIC		OMNI PEAK		138		39.453		100		-3		10		11.968		-3.608		-28.906		Yes		8/9/25 19:07		RTK		30		0.94		0.57		0.75		9787		-1339		Yes		RTK		3D		1		3826		0.433		0.295		0.394		1.048				WME		Water Meter

		UP1688		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1688		8/9/25 19:10		3725'53.5469"N		795'29.7191"W		262.602		276281.896		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		8.01		100		1		10		12.261		-0.073		-21.079		Yes		8/9/25 19:10		RTK		30		0.99		0.61		0.78		9620		-1339		Yes		RTK		3D		0.8		3826		1.27		0.759		0.551		2.959				WME		Water Meter

		UP1689		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1689		8/9/25 19:12		3725'52.8254"N		795'29.1337"W		87.07		276368.966		0		UNKNOWN		232		32768		CLASSIC		OMNI PEAK		138		28.023		100		0		12		9.133		0.802		48.459		Yes		8/9/25 19:12		RTK		28		1.03		0.63		0.81		9576		-1339		Yes		RTK		3D		0.8		3826		1.913		1.05		0.591		4.365				WME		Water Meter

		UP1690		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1690		8/9/25 19:14		3725'51.8863"N		795'27.5868"W		156.863		276525.829		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		45.116		100		209		11		6.976		-2.088		35.757		Yes		8/9/25 19:14		RTK		28		1.03		0.63		0.81		9543		-1339		Yes		RTK		3D		0.6		3826		1.774		0.551		0.472		3.716				WME		Water Meter

		UP1691		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1691		8/9/25 19:15		3725'53.8432"N		795'29.2508"W		239.549		276765.378		0		UNKNOWN		8		32768		CLASSIC		OMNI PEAK		138		100		100		0		8		13.494		-1.79		-43.398		Yes		8/9/25 19:15		RTK		29		0.98		0.59		0.79		9600		-1339		Yes		RTK		3D		0.8		3826		0.551		0.394		0.394		1.355				WME		Water Meter

		UP1692		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1692		8/9/25 19:23		3725'57.2284"N		795'32.1130"W		413.656		277179.035		0		UNKNOWN		10		32768		CLASSIC		OMNI PEAK		138		80.861		100		0		11		9.718		-4.046		-81.668		Yes		8/9/25 19:23		RTK		29		1		0.61		0.8		9856		-1339		Yes		RTK		3D		1		3826		2.362		1.157		0.709		5.261				WME		Water Meter

		UP1693		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1693		8/9/25 19:24		3725'58.1866"N		795'32.8767"W		115.042		277294.077		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		100		100		-1		12		8.686		-0.612		-55.991		Yes		8/9/25 19:24		RTK		29		1		0.61		0.8		9886		-1339		Yes		RTK		3D		1		3826		1.913		0.759		0.591		4.117				WME		Water Meter

		UP1694		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1694		8/9/25 19:24		3725'58.6427"N		795'33.2292"W		54.282		277348.358		0		UNKNOWN		37		32768		CLASSIC		OMNI PEAK		138		57.789		100		-1		12		14.438		-1.897		-87.244		Yes		8/9/25 19:24		RTK		29		1		0.61		0.8		9906		-1339		Yes		RTK		3D		0.8		3826		0.394		0.315		0.394		1.008				WME		Water Meter

		UP1695		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1695		8/9/25 19:25		3725'59.9080"N		795'34.3346"W		156.233		277504.591		0		UNKNOWN		32		32768		CLASSIC		OMNI PEAK		138		100		100		0		10		12.109		-0.714		-63.742		Yes		8/9/25 19:25		RTK		29		1.01		0.61		0.8		9955		-1339		Yes		RTK		3D		0.6		3826		1.388		0.551		0.551		2.988				WME		Water Meter

		UP1696		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1696		8/9/25 19:27		3726'0.0914"N		795'34.4467"W		20.683		277525.274		0		UNKNOWN		27		32768		CLASSIC		OMNI PEAK		138		52.977		100		8		12		13.787		-1.674		-37.816		Yes		8/9/25 19:27		RTK		29		1.01		0.61		0.8		9985		-1339		Yes		RTK		3D		1		3826		0.672		0.472		0.433		1.643				WME		Water Meter

		UP1697		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1697		8/9/25 19:30		3726'1.7272"N		795'35.6040"W		190.347		277715.621		0		UNKNOWN		166		32768		CLASSIC		OMNI PEAK		138		54.754		100		-8		8		13.617		-0.979		58.283		Yes		8/9/25 19:30		RTK		30		1.09		0.64		0.88		10127		-1339		Yes		RTK		3D		1		3826		0.472		0.394		0.394		1.23				WME		Water Meter

		UP1698		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1698		8/9/25 19:30		3726'1.7507"N		795'35.5955"W		2.481		277718.102		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		100		100		-2		11		11.578		-2.18		-75.166		Yes		8/9/25 19:30		RTK		30		1.15		0.66		0.94		10127		-1339		Yes		RTK		3D		0.6		3826		0.672		0.472		0.394		1.643				WME		Water Meter

		UP1699		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1699		8/9/25 19:52		3726'0.3967"N		795'34.7429"W		153.581		277871.683		0		UNKNOWN		7		32768		CLASSIC		OMNI PEAK		138		100		100		0		9		14.924		-1.512		-19.426		Yes		8/9/25 19:52		RTK		28		1.1		0.61		0.91		10002		-1339		Yes		RTK		3D		0.8		3826		1.64		1.05		0.709		3.895				WME		Water Meter

		UP1700		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1700		8/9/25 19:55		3725'56.4374"N		795'31.5822"W		475.571		278347.254		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		45.845		100		0		13		12.504		-0.914		75.919		Yes		8/9/25 19:55		FLOAT RTK		28		1.1		0.62		0.92		9812		-1339		Yes		FLOAT RTK		3D		0.4		3826		18.406		15.093		2.559		47.604				WME		Water Meter

		UP1701		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1701		8/9/25 20:03		3725'46.4201"N		795'25.0622"W		1143.974		279491.228		0		UNKNOWN		19		32768		CLASSIC		OMNI PEAK		138		61.135		100		2		11		16.133		-1.572		26.096		Yes		8/9/25 20:03		RTK		27		1.16		0.64		0.97		9500		-1339		Yes		RTK		3D		0.6		3826		0.591		0.472		0.472		1.513				WME		Water Meter

		UP1702		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1702		8/9/25 20:03		3725'46.6912"N		795'25.0702"W		27.513		279518.741		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		138		100		100		0		13		9.889		-2.507		-87.07		Yes		8/9/25 20:03		RTK		28		1.16		0.64		0.97		9497		-1339		Yes		RTK		3D		0.6		3826		0.948		0.85		0.669		2.546				WME		Water Meter

		UP1703		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1703		8/9/25 20:08		3725'49.0434"N		795'26.0574"W		251.53		279770.272		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		138		100		100		0		9		9.645		2.842		-33.783		Yes		8/9/25 20:08		RTK		28		1.06		0.6		0.87		9594		-1339		Yes		RTK		3D		1.2		3826		0.472		0.394		0.394		1.23				WME		Water Meter

		UP1704		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1704		8/9/25 20:15		3725'49.0419"N		795'26.0627"W		0.451		279770.722		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		45.363		100		0		11		14.069		-0.179		-63.824		Yes		8/9/25 20:15		RTK		29		1.08		0.61		0.9		9588		-1339		Yes		RTK		3D		1.2		3826		0.472		0.433		0.433		1.282				WME		Water Meter

		UP1705		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1705		8/9/25 20:15		3725'49.3340"N		795'26.1763"W		31.014		279801.736		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		31.857		100		-2		9		8.867		-3.464		-22.83		Yes		8/9/25 20:15		RTK		27		1.09		0.61		0.9		9596		-1339		Yes		RTK		3D		1		3826		0.394		0.35		0.394		1.054				WME		Water Meter

		UP1706		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1706		8/9/25 20:18		3725'48.2081"N		795'25.5868"W		123.699		279925.435		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		27.334		100		5		9		15.409		-0.178		6.342		Yes		8/9/25 20:18		RTK		28		1.09		0.61		0.9		9567		-1339		Yes		RTK		3D		1		3826		0.551		0.472		0.394		1.452				WME		Water Meter

		UP1707		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1707		8/9/25 20:18		3725'48.2430"N		795'25.5927"W		3.568		279929.004		0		UNKNOWN		23		32768		CLASSIC		OMNI PEAK		138		62.774		100		-15		10		21.496		-1.134		-55.632		Yes		8/9/25 20:18		RTK		28		1.09		0.61		0.9		9576		-1339		Yes		RTK		3D		1		3826		0.472		0.394		0.394		1.23				WME		Water Meter

		UP1708		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1708		8/9/25 20:20		3725'47.5320"N		795'25.9565"W		77.852		280006.855		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		36.721		100		0		10		10.362		0.696		68.953		Yes		8/9/25 20:20		RTK		29		1.21		0.69		1		9517		-1339		Yes		RTK		3D		1		3826		0.591		0.512		0.551		1.563				WME		Water Meter

		UP1709		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1709		8/9/25 20:20		3725'47.5326"N		795'25.9576"W		0.105		280006.96		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		18.403		100		4		9		10.795		0.157		-75.083		Yes		8/9/25 20:20		RTK		29		1.09		0.61		0.91		9516		-1339		Yes		RTK		3D		1		3826		0.551		0.512		0.512		1.504				WME		Water Meter

		UP1710		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1710		8/9/25 20:23		3725'45.1319"N		795'24.6971"W		263.869		280270.83		0		UNKNOWN		48		32768		CLASSIC		OMNI PEAK		138		58.912		100		1		11		13.247		-1.827		3.625		Yes		8/9/25 20:23		RTK		29		1.1		0.61		0.91		9498		-1339		Yes		RTK		3D		0.8		3826		1.157		0.759		0.63		2.768				WME		Water Meter

		UP1711		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1711		8/9/25 20:26		3725'43.0879"N		795'24.7201"W		207.374		280478.204		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		138		100		100		0		11		10.783		1.636		-63.005		Yes		8/9/25 20:26		RTK		28		1.1		0.61		0.92		9539		-1339		Yes		RTK		3D		0.4		3826		1.512		1.157		0.787		3.808				WME		Water Meter

		UP1712		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1712		8/9/25 20:27		3725'44.0419"N		795'24.6370"W		97.016		280575.22		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		41.49		100		-8		8		9.494		2.963		-41.804		Yes		8/9/25 20:27		RTK		29		1.22		0.67		1.02		9536		-1339		Yes		RTK		3D		0.6		3826		0.759		0.472		0.472		1.787				WME		Water Meter

		UP1713		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1713		8/9/25 20:29		3725'42.0692"N		795'25.4876"W		211.536		280786.756		0		UNKNOWN		19		32768		CLASSIC		OMNI PEAK		138		65.938		100		-10		13		12.959		1.445		-13.13		Yes		8/9/25 20:29		RTK		29		1.23		0.67		1.02		9563		-1339		Yes		RTK		3D		1		3826		1.27		0.948		0.669		3.17				WME		Water Meter

		UP1714		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1714		8/9/25 20:39		3725'20.7768"N		795'0.2825"W		2964.757		283751.512		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		11.206		100		0		8		13.293		0.043		-3.86		Yes		8/9/25 20:39		RTK		28		1.24		0.67		1.04		8939		-1340		Yes		RTK		3D		0.4		3826		0.85		0.672		0.591		2.168				WME		Water Meter

		UP1715		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1715		8/9/25 20:40		3725'22.2971"N		795'0.5961"W		156.291		283907.803		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		34.844		100		4		9		9.015		-3.817		73.225		Yes		8/9/25 20:40		RTK		28		1.24		0.67		1.04		9029		-1340		Yes		RTK		3D		0.4		3845		0.394		0.335		0.394		1.033				WME		Water Meter

		UP1716		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1716		8/9/25 20:46		3725'25.7698"N		795'3.5715"W		426.129		284333.932		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		15.141		100		-2		11		13.882		-2.889		-19.377		Yes		8/9/25 20:46		RTK		30		1.15		0.64		0.95		9124		-1340		Yes		RTK		3D		0.8		3845		1.05		0.85		0.551		2.702				WME		Water Meter

		UP1717		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1717		8/9/25 21:18		3726'9.6021"N		797'21.8400"W		0		284333.932		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		2.679		100		-40		3		71.635		1.047		-11.426		Yes		8/9/25 21:18		RTK		27		1.08		0.58		0.91		9776		-1339		Yes		RTK		3D		0.8		3855		0.394		0.394		0.394		1.114				WME		Water Meter

		UP1718		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1718		8/9/25 21:21		3726'7.2898"N		797'21.9185"W		234.668		284568.599		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		138		1.389		100		8		3		75.122		-16.651		83.629		Yes		8/9/25 21:21		RTK		27		1.06		0.57		0.9		9746		-1339		Yes		RTK		3D		1.2		3855		0.472		0.433		0.394		1.282				WME		Water Meter

		UP1719		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1719		8/9/25 21:22		3726'7.3627"N		797'21.9391"W		7.579		284576.178		0		UNKNOWN		73		32768		CLASSIC		OMNI PEAK		139		42.917		100		2		4		53.32		31.119		-1.167		Yes		8/9/25 21:22		RTK		27		1.06		0.57		0.9		9732		-1339		Yes		RTK		3D		1.2		3855		0.319		0.283		0.394		0.853				WME		Water Meter

		UP1720		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1720		8/9/25 21:24		3726'5.1017"N		797'21.0803"W		239.583		284815.761		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		0.673		100		52		3		66.097		-6.414		-90.006		Yes		8/9/25 21:24		RTK		30		1.07		0.57		0.9		9684		-1339		Yes		RTK		3D		1		3855		0.39		0.35		0.394		1.048				WME		Water Meter

		UP1721		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1721		8/9/25 21:25		3726'4.4551"N		797'21.0194"W		65.776		284881.537		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		0.152		100		-14		3		70.865		30.797		26.677		Yes		8/9/25 21:25		RTK		30		1.07		0.57		0.9		9660		-1339		Yes		RTK		3D		1		3855		0.315		0.291		0.394		0.858				WME		Water Meter

		UP1722		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1722		8/9/25 21:27		3726'2.5114"N		797'20.7643"W		198.26		285079.797		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		2.618		100		-8		2		70.341		47.996		75.929		Yes		8/9/25 21:27		RTK		29		1.07		0.57		0.9		9630		-1339		Yes		RTK		3D		1.8		3855		0.394		0.37		0.394		1.081				WME		Water Meter

		UP1723		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1723		8/9/25 21:34		3726'2.0011"N		797'19.7273"W		98.282		285178.079		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		0.066		100		-3		2		65.927		6.069		23.195		Yes		8/9/25 21:34		RTK		32		1.07		0.58		0.9		9603		-1339		Yes		RTK		3D		1.2		3855		0.472		0.433		0.394		1.282				WME		Water Meter

		UP1724		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1724		8/9/25 21:37		3726'5.7868"N		797'20.4485"W		388.425		285566.504		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		11.069		100		0		7		46.059		28.743		-4.849		Yes		8/9/25 21:37		RTK		30		1.04		0.59		0.86		9701		-1339		Yes		RTK		3D		0.8		3855		0.591		0.512		0.394		1.563				WME		Water Meter

		UP1725		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1725		8/9/25 21:49		3726'16.5490"N		797'20.7540"W		1092.107		286658.611		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		45.131		100		0		9		9.856		-1.021		-32.562		Yes		8/9/25 21:50		RTK		32		0.97		0.53		0.81		9737		-1339		Yes		RTK		3D		1		3855		0.512		0.512		0.433		1.448				WME		Water Meter

		UP1726		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1726		8/9/25 21:51		3726'17.8860"N		797'19.4269"W		172.708		286831.319		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		100		100		-3		9		11.687		0.685		-21.435		Yes		8/9/25 21:51		RTK		32		0.98		0.53		0.82		9684		-1339		Yes		RTK		3D		1.2		3855		0.591		0.551		0.433		1.616				WME		Water Meter

		UP1727		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1727		8/9/25 21:54		3726'21.2935"N		797'15.0872"W		491.637		287322.956		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		56.031		100		-1		7		43.046		21.969		-32.6		Yes		8/9/25 21:54		RTK		32		1.02		0.56		0.85		9503		-1339		Yes		RTK		3D		0.4		3855		0.394		0.394		0.394		1.114				WME		Water Meter

		UP1728		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1728		8/9/25 21:56		3726'21.7221"N		797'14.5335"W		62.28		287385.236		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		2.052		100		1		9		44.207		-4.479		85.957		Yes		8/9/25 21:56		RTK		32		1.02		0.56		0.86		9513		-1339		Yes		RTK		3D		0.6		3855		0.591		0.551		0.472		1.616				WME		Water Meter

		UP1729		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1729		8/9/25 22:03		3726'19.9049"N		797'13.3979"W		205.797		287591.034		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		139		100		100		-1		10		31.018		1.455		-40.065		Yes		8/9/25 22:03		RTK		32		1.03		0.56		0.87		9348		-1339		Yes		RTK		3D		0.4		3855		0.323		0.319		0.394		0.908				WME		Water Meter

		UP1730		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1730		8/9/25 22:05		3726'18.5949"N		797'10.9774"W		235.966		287827		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		43.613		100		5		9		36.846		-1.764		-85.509		Yes		8/9/25 22:05		RTK		32		1.02		0.55		0.86		9415		-1339		Yes		RTK		3D		0.6		3855		0.551		0.512		0.433		1.504				WME		Water Meter

		UP1731		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1731		8/9/25 22:06		3726'18.0007"N		797'10.3693"W		77.67		287904.67		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		52.742		100		6		7		21.397		-0.718		-53.297		Yes		8/9/25 22:06		RTK		31		1.09		0.58		0.92		9413		-1339		Yes		RTK		3D		1.4		3855		0.512		0.433		0.394		1.341				WME		Water Meter

		UP1732		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1732		8/9/25 22:18		3726'22.6865"N		797'8.6523"W		495.087		288399.757		0		UNKNOWN		54		32768		CLASSIC		OMNI PEAK		139		41.125		100		-2		9		39.269		0.414		-48.013		Yes		8/9/25 22:18		RTK		31		1.23		0.61		1.07		9648		-1339		Yes		RTK		3D		1		3855		1.157		0.472		0.472		2.5				WME		Water Meter

		UP1733		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1733		8/9/25 22:19		3726'22.6897"N		797'8.6630"W		0.92		288400.677		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		25.401		100		-2		5		55.957		-7.692		46.258		Yes		8/9/25 22:19		RTK		31		1.24		0.61		1.08		9650		-1339		Yes		RTK		3D		0.8		3855		1.913		0.85		0.669		4.188				WME		Water Meter

		UP1734		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1734		8/9/25 22:23		3726'24.2481"N		797'13.8004"W		442.996		288843.673		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		14.366		100		3		8		23.076		0.254		-72.581		Yes		8/9/25 22:23		RTK		31		1.13		0.58		0.97		9593		-1339		Yes		RTK		3D		1.2		3855		0.591		0.512		0.433		1.563				WME		Water Meter

		UP1735		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1735		8/9/25 22:26		3726'25.7024"N		797'12.8596"W		165.861		289009.534		0		UNKNOWN		11		32768		CLASSIC		OMNI PEAK		139		100		100		-4		5		45.311		2.169		81.923		Yes		8/9/25 22:26		RTK		32		1.14		0.58		0.98		9714		-1339		Yes		RTK		3D		1.4		3855		0.394		0.382		0.394		1.097				WME		Water Meter

		UP1736		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1736		8/9/25 22:29		3726'26.7724"N		797'12.1727"W		121.837		289131.372		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		34.542		100		0		8		35.63		1.414		11.369		Yes		8/9/25 22:29		RTK		32		1.12		0.57		0.97		9763		-1339		Yes		RTK		3D		1.4		3855		0.382		0.327		0.394		1.005				WME		Water Meter

		UP1737		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1737		8/9/25 22:30		3726'26.6357"N		797'12.0101"W		19.077		289150.449		0		UNKNOWN		16		32768		CLASSIC		OMNI PEAK		139		100		100		3		8		13.117		1.597		73.848		Yes		8/9/25 22:30		RTK		32		1.03		0.55		0.87		9753		-1339		Yes		RTK		3D		1.4		3855		1.05		0.672		0.63		2.493				WME		Water Meter

		UP1738		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1738		8/9/25 22:32		3726'27.2585"N		797'11.6396"W		69.873		289220.321		0		UNKNOWN		69		32768		CLASSIC		OMNI PEAK		139		44.993		100		0		12		23.524		0.815		-69.652		Yes		8/9/25 22:32		RTK		32		1.03		0.55		0.87		9837		-1339		Yes		RTK		3D		0.8		3855		0.512		0.39		0.394		1.287				WME		Water Meter

		UP1739		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1739		8/9/25 22:46		3726'29.5708"N		797'7.3681"W		416.435		289636.757		0		UNKNOWN		58		32768		CLASSIC		OMNI PEAK		139		69.628		100		-12		10		12.51		-0.098		55.034		Yes		8/9/25 22:46		RTK		32		1.11		0.58		0.95		9919		-1339		Yes		RTK		3D		0.6		3855		0.591		0.472		0.512		1.513				WME		Water Meter

		UP1740		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1740		8/9/25 22:46		3726'29.5775"N		797'7.5398"W		13.852		289650.608		0		UNKNOWN		143		32768		CLASSIC		OMNI PEAK		139		67.855		100		5		9		11.518		-0.834		-85.782		Yes		8/9/25 22:46		RTK		32		1.07		0.58		0.9		9922		-1339		Yes		RTK		3D		0.6		3855		1.27		0.948		0.787		3.17				WME		Water Meter

		UP1741		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1741		8/9/25 22:49		3726'23.1335"N		796'49.6032"W		1585.822		291236.43		0		UNKNOWN		18		32768		CLASSIC		OMNI PEAK		139		100		100		6		8		11.292		-1.175		-79.733		Yes		8/9/25 22:49		RTK		31		1		0.55		0.84		9356		-1339		Yes		RTK		3D		0.8		3855		0.672		0.672		0.709		1.9				WME		Water Meter

		UP1742		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1742		8/9/25 22:51		3726'26.6333"N		796'54.9646"W		559.083		291795.513		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		21.374		100		0		12		7.494		0.012		22.543		Yes		8/9/25 22:51		RTK		31		1		0.55		0.84		9733		-1339		Yes		RTK		3D		1.2		3855		0.591		0.551		0.591		1.616				WME		Water Meter

		UP1743		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1743		8/9/25 22:55		3726'26.8383"N		796'56.7652"W		146.527		291942.04		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		100		99		0		11		9.595		-1.692		61.979		Yes		8/9/25 22:55		RTK		32		1		0.54		0.84		9788		-1339		Yes		RTK		3D		0.8		3855		0.591		0.433		0.512		1.465				WME		Water Meter

		UP1744		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1744		8/9/25 22:56		3726'27.4514"N		796'56.8780"W		62.854		292004.894		0		UNKNOWN		450		32768		CLASSIC		OMNI PEAK		139		40.448		99		-10		6		13.805		0.269		77.711		Yes		8/9/25 22:56		RTK		32		1		0.54		0.84		9816		-1339		Yes		RTK		3D		1.2		3855		0.382		0.299		0.394		0.97				WME		Water Meter

		UP1745		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1745		8/9/25 22:56		3726'27.6154"N		796'57.5798"W		58.922		292063.816		0		UNKNOWN		54		32768		CLASSIC		OMNI PEAK		139		67.671		99		0		12		10.915		1.491		54.854		Yes		8/9/25 22:56		RTK		32		1.02		0.56		0.85		9817		-1339		Yes		RTK		3D		0.8		3855		0.85		0.551		0.63		2.027				WME		Water Meter

		UP1746		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1746		8/9/25 22:58		3726'28.0751"N		797'0.1383"W		211.296		292275.112		0		UNKNOWN		17		32768		CLASSIC		OMNI PEAK		139		65.932		99		0		12		11.002		0.902		48.969		Yes		8/9/25 22:58		RTK		32		1.07		0.56		0.91		9839		-1339		Yes		RTK		3D		1		3855		0.759		0.551		0.63		1.875				WME		Water Meter

		UP1747		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1747		8/9/25 23:01		3726'27.7005"N		797'0.8202"W		66.792		292341.904		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		26.998		97		0		9		9.765		-2.392		45.643		Yes		8/9/25 23:01		RTK		32		0.97		0.53		0.82		9820		-1339		Yes		RTK		3D		1.2		3855		1.512		0.948		0.906		3.568				WME		Water Meter

		UP1748		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1748		8/9/25 23:14		3726'30.0396"N		797'12.5432"W		973.641		293315.545		0		UNKNOWN		30		32768		CLASSIC		OMNI PEAK		139		100		97		-1		11		13.504		-0.913		-21.495		Yes		8/9/25 23:14		RTK		31		1.02		0.54		0.87		9879		-1339		Yes		RTK		3D		1.2		3855		0.512		0.394		0.433		1.291				WME		Water Meter

		UP1749		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1749		8/9/25 23:18		3726'28.8364"N		797'12.6159"W		122.199		293437.743		0		UNKNOWN		1		32768		CLASSIC		OMNI PEAK		139		100		97		5		11		12.743		-1.371		35.036		Yes		8/9/25 23:18		RTK		32		1.03		0.55		0.87		9817		-1339		Yes		RTK		3D		1.4		3855		0.85		0.551		0.591		2.027				WME		Water Meter

		UP1750		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1750		8/9/25 23:20		3726'26.9083"N		797'13.5714"W		210.203		293647.946		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		14.023		97		1		11		9.784		-1.642		-43.466		Yes		8/9/25 23:20		RTK		32		1.03		0.55		0.88		9705		-1339		Yes		RTK		3D		0.4		3855		0.323		0.276		0.394		0.849				WME		Water Meter

		UP1751		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1751		8/9/25 23:21		3726'25.5240"N		797'14.3370"W		153.383		293801.329		0		UNKNOWN		112		32768		CLASSIC		OMNI PEAK		139		57.965		97		0		8		9.535		-1.8		87.444		Yes		8/9/25 23:21		RTK		32		1.03		0.55		0.88		9636		-1339		Yes		RTK		3D		1.2		3855		0.472		0.394		0.433		1.23				WME		Water Meter

		UP1752		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1752		8/9/25 23:28		3726'25.2806"N		797'14.5918"W		32.112		293833.441		0		UNKNOWN		26		32768		CLASSIC		OMNI PEAK		139		100		95		7		8		9.694		-6.389		30.161		Yes		8/9/25 23:28		RTK		31		1.07		0.54		0.93		9641		-1339		Yes		RTK		3D		1.2		3855		0.551		0.386		0.472		1.346				WME		Water Meter

		UP1753		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1753		8/9/25 23:30		3726'23.9858"N		797'15.3370"W		144.422		293977.863		0		UNKNOWN		195		32768		CLASSIC		OMNI PEAK		139		100		96		-11		10		13.073		-2.677		-85.801		Yes		8/9/25 23:30		RTK		31		1.08		0.54		0.93		9551		-1339		Yes		RTK		3D		1.2		3855		0.551		0.433		0.433		1.402				WME		Water Meter

		UP1754		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1754		8/9/25 23:30		3726'23.9731"N		797'15.3490"W		1.609		293979.472		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		43.742		96		6		9		12.188		-1.197		-23.622		Yes		8/9/25 23:30		RTK		31		1.08		0.54		0.93		9554		-1339		Yes		RTK		3D		0.4		3855		0.759		0.512		0.551		1.83				WME		Water Meter

		UP1755		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1755		8/9/25 23:35		3726'23.0036"N		797'17.0956"W		171.668		294151.14		0		UNKNOWN		38		32768		CLASSIC		OMNI PEAK		139		73.058		95		-1		13		10.303		-1.997		49.401		Yes		8/9/25 23:35		RTK		32		1.17		0.56		1.03		9438		-1339		Yes		RTK		3D		1		3855		1.64		1.05		0.906		3.895				WME		Water Meter

		UP1756		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1756		8/9/25 23:37		3726'20.8111"N		797'17.9175"W		232.071		294383.212		0		UNKNOWN		10		32768		CLASSIC		OMNI PEAK		139		100		95		8		11		12.692		-1.329		45.483		Yes		8/9/25 23:37		RTK		32		1.23		0.58		1.09		9541		-1339		Yes		RTK		3D		1.4		3855		0.512		0.433		0.472		1.341				WME		Water Meter

		UP1757		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1757		8/9/25 23:38		3726'19.6325"N		797'19.1908"W		157.534		294540.746		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		39.168		95		1		11		15.025		-2.382		41.303		Yes		8/9/25 23:38		RTK		32		1.18		0.56		1.04		9642		-1339		Yes		RTK		3D		1		3855		0.386		0.343		0.394		1.032				WME		Water Meter

		UP1758		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1758		8/10/25 9:29		3724'53.4749"N		795'0.8742"W		0		294540.746		0		UNKNOWN		428		32768		CLASSIC		OMNI PEAK		139		3.007		100		-7		11		14.618		-3.621		-80.561		Yes		8/10/25 9:29		RTK		27		1.04		0.58		0.86		9100		-1340		Yes		RTK		3D		1		4093		0.672		0.551		0.512		1.738				WME		Water Meter

		UP1759		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1759		8/10/25 9:31		3724'48.1799"N		795'1.1293"W		537.571		295078.316		0		UNKNOWN		91		32768		CLASSIC		OMNI PEAK		139		19.181		100		-11		10		12.747		-1.455		-85.828		Yes		8/10/25 9:31		RTK		30		1.04		0.56		0.87		9181		-1340		Yes		RTK		3D		1.2		4093		0.472		0.394		0.433		1.23				WME		Water Meter

		UP1760		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1760		8/10/25 9:41		3725'37.0511"N		795'21.4264"W		0		295078.316		0		UNKNOWN		27		32768		CLASSIC		OMNI PEAK		139		75.127		100		4		10		14.658		1.99		-84.423		Yes		8/10/25 9:41		RTK		32		1.01		0.55		0.85		9602		-1339		Yes		RTK		3D		1		3		0.759		0.512		0.551		1.83				WME		Water Meter

		UP1761		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1761		8/10/25 9:42		3725'35.9764"N		795'19.0359"W		221.313		295299.629		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		9.679		100		-34		12		10.741		-1.881		49.81		Yes		8/10/25 9:42		RTK		32		1.12		0.57		0.96		9544		-1339		Yes		RTK		3D		0.4		3		0.472		0.472		0.394		1.336				WME		Water Meter

		UP1762		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1762		8/10/25 9:44		3725'34.6870"N		795'15.6439"W		302.967		295602.597		0		UNKNOWN		8		32768		CLASSIC		OMNI PEAK		139		100		100		2		11		8.442		1.94		29.844		Yes		8/10/25 9:44		RTK		32		1.01		0.53		0.86		9577		-1339		Yes		RTK		3D		0.4		3		0.472		0.386		0.394		1.22				WME		Water Meter

		UP1763		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1763		8/10/25 9:47		3725'35.2331"N		795'17.1377"W		132.49		295735.087		0		UNKNOWN		69		32768		CLASSIC		OMNI PEAK		139		29.938		100		-4		7		11.363		0.232		57.698		Yes		8/10/25 9:47		RTK		32		1.02		0.55		0.86		9558		-1339		Yes		RTK		3D		1.4		3		1.157		0.591		0.591		2.599				WME		Water Meter

		UP1764		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1764		8/10/25 9:59		3725'37.9869"N		795'26.6301"W		814.183		296549.27		0		UNKNOWN		157		32768		CLASSIC		OMNI PEAK		139		58.949		100		5		9		11.749		0.552		-2.143		Yes		8/10/25 9:59		FLOAT RTK		31		1.05		0.55		0.89		9795		-1339		Yes		FLOAT RTK		3D		0.8		3		11.227		8.098		1.732		27.687				WME		Water Meter

		UP1765		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1765		8/10/25 10:04		3725'32.9583"N		795'28.3361"W		528.349		297077.619		0		UNKNOWN		38		32768		CLASSIC		OMNI PEAK		139		100		100		-10		11		5.928		-2.975		-3.026		Yes		8/10/25 10:04		RTK		32		1.2		0.6		1.03		9684		-1339		Yes		RTK		3D		0.4		3		1.27		0.759		0.709		2.959				WME		Water Meter

		UP1766		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1766		8/10/25 10:04		3725'33.5608"N		795'28.1368"W		63.196		297140.815		0		UNKNOWN		14		32768		CLASSIC		OMNI PEAK		139		100		100		3		9		13.759		-1.381		-34.591		Yes		8/10/25 10:04		RTK		32		1.2		0.6		1.03		9761		-1339		Yes		RTK		3D		0.4		3		0.512		0.35		0.394		1.241				WME		Water Meter

		UP1767		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1767		8/10/25 10:06		3725'32.5462"N		795'28.4545"W		106.06		297246.875		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		5.046		100		-6		10		11.464		0.423		67.024		Yes		8/10/25 10:06		FLOAT RTK		31		1.45		0.69		1.28		9657		-1339		Yes		FLOAT RTK		3D		1		3		4.049		2.577		0.512		9.599				WME		Water Meter

		UP1768		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1768		8/10/25 10:20		3725'22.3239"N		795'25.0127"W		1073.491		298320.366		0		UNKNOWN		1		32768		CLASSIC		OMNI PEAK		139		100		100		0		11		11.296		-0.371		29.76		Yes		8/10/25 10:20		RTK		32		1.15		0.61		0.97		9424		-1339		Yes		RTK		3D		1.4		3		0.85		0.551		0.591		2.027				WME		Water Meter

		UP1769		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1769		8/10/25 10:20		3725'21.8098"N		795'24.4332"W		70.01		298390.376		0		UNKNOWN		19		32768		CLASSIC		OMNI PEAK		139		100		100		2		13		8.511		-8.939		17.957		Yes		8/10/25 10:20		RTK		32		1.36		0.66		1.19		9439		-1339		Yes		RTK		3D		0.8		3		2.207		1.27		0.906		5.094				WME		Water Meter

		UP1770		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1770		8/10/25 10:21		3725'21.1830"N		795'23.7658"W		83.27		298473.646		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		47.232		100		-2		11		8.902		-2.697		-18.893		Yes		8/10/25 10:21		RTK		32		1.35		0.66		1.18		9404		-1339		Yes		RTK		3D		0.4		3		3.79		2.207		1.102		8.772				WME		Water Meter

		UP1771		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1771		8/10/25 10:21		3725'20.7277"N		795'23.3556"W		56.797		298530.443		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		22.518		100		1		11		14.597		0.748		-34.099		Yes		8/10/25 10:21		RTK		32		1.35		0.66		1.18		9385		-1339		Yes		RTK		3D		1.2		3		0.948		0.551		0.591		2.192				WME		Water Meter

		UP1772		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1772		8/10/25 10:44		3726'43.0054"N		794'8.1639"W		0		298530.443		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		100		100		1		10		9.424		0.464		69.677		Yes		8/10/25 10:44		RTK		32		1.17		0.63		0.98		9770		-1340		Yes		RTK		3D		1		24		1.157		0.672		0.591		2.677				WME		Water Meter

		UP1773		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1773		8/10/25 10:45		3726'42.9394"N		794'9.8036"W		132.24		298662.684		0		UNKNOWN		22		32768		CLASSIC		OMNI PEAK		139		100		100		5		11		8.045		1.353		28.162		Yes		8/10/25 10:45		RTK		32		1.17		0.63		0.98		9791		-1340		Yes		RTK		3D		1.2		24		1.05		0.85		0.63		2.702				WME		Water Meter

		UP1774		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1774		8/10/25 10:46		3726'43.0184"N		794'11.4962"W		136.569		298799.253		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		139		100		100		3		10		6.912		-2.894		-8.129		Yes		8/10/25 10:46		RTK		32		1.16		0.63		0.98		9834		-1340		Yes		RTK		3D		1.2		24		1.512		1.157		0.787		3.808				WME		Water Meter

		UP1775		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1775		8/10/25 10:47		3726'43.0116"N		794'12.2059"W		57.166		298856.419		0		UNKNOWN		13		32768		CLASSIC		OMNI PEAK		139		84.677		100		12		9		7.625		0.886		-39.982		Yes		8/10/25 10:47		RTK		32		1.11		0.62		0.93		9860		-1340		Yes		RTK		3D		0.6		24		0.433		0.339		0.394		1.099				WME		Water Meter

		UP1776		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1776		8/10/25 10:49		3726'43.0038"N		794'16.0233"W		307.475		299163.893		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		139		100		100		-2		11		7.212		-1.615		39.746		Yes		8/10/25 10:49		RTK		31		1.08		0.61		0.89		9958		-1340		Yes		RTK		3D		0.6		24		1.388		1.05		0.669		3.481				WME		Water Meter

		UP1777		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1777		8/10/25 10:49		3726'43.0430"N		794'16.9955"W		78.404		299242.297		0		UNKNOWN		17		32768		CLASSIC		OMNI PEAK		139		100		100		14		12		8.588		-0.081		43.436		Yes		8/10/25 10:49		RTK		32		1.08		0.61		0.89		9938		-1340		Yes		RTK		3D		1		24		1.27		0.948		0.63		3.17				WME		Water Meter

		UP1778		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1778		8/10/25 10:50		3726'42.8559"N		794'18.3807"W		113.173		299355.47		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		139		100		100		0		5		4.79		0.191		-76.071		Yes		8/10/25 10:50		RTK		31		1.07		0.61		0.88		9931		-1340		Yes		RTK		3D		1.2		24		0.759		0.551		0.472		1.875				WME		Water Meter

		UP1779		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1779		8/10/25 10:51		3726'42.5215"N		794'19.4867"W		95.325		299450.795		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		139		100		100		-3		8		7.913		1.088		79.663		Yes		8/10/25 10:51		RTK		31		1.07		0.59		0.89		9953		-1340		Yes		RTK		3D		1		24		0.948		0.759		0.591		2.427				WME		Water Meter

		UP1780		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1780		8/10/25 10:51		3726'42.1546"N		794'20.3073"W		75.858		299526.653		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		100		100		-3		8		10.039		-3.084		87.964		Yes		8/10/25 10:51		RTK		32		1.03		0.57		0.86		9966		-1340		Yes		RTK		3D		1.4		24		0.591		0.551		0.472		1.616				WME		Water Meter

		UP1781		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1781		8/10/25 10:55		3726'40.8127"N		794'23.5610"W		295.324		299821.978		0		UNKNOWN		286		32768		CLASSIC		OMNI PEAK		139		44.892		100		-12		11		15.641		-0.821		-4.402		Yes		8/10/25 10:55		RTK		31		1.04		0.59		0.86		9914		-1340		Yes		RTK		3D		1.2		24		0.512		0.433		0.394		1.341				WME		Water Meter

		UP1782		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1782		8/10/25 10:55		3726'40.7993"N		794'23.5450"W		1.874		299823.852		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		139		100		100		6		10		14.588		3.381		-26.764		Yes		8/10/25 10:55		RTK		31		1.04		0.59		0.86		9911		-1340		Yes		RTK		3D		1.6		24		0.512		0.366		0.394		1.259				WME		Water Meter

		UP1783		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1783		8/10/25 10:55		3726'40.8134"N		794'23.5240"W		2.217		299826.068		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		23.995		100		2		11		15.912		-1.368		-11.305		Yes		8/10/25 10:55		RTK		31		1.04		0.59		0.86		9912		-1340		Yes		RTK		3D		1.2		24		0.472		0.362		0.394		1.191				WME		Water Meter

		UP1784		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1784		8/10/25 10:55		3726'40.7942"N		794'23.5132"W		2.135		299828.203		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		31.181		100		-17		5		11.373		2.404		3.171		Yes		8/10/25 10:55		RTK		31		1.04		0.59		0.85		9911		-1340		Yes		RTK		3D		3.6		24		0.759		0.512		0.472		1.83				WME		Water Meter

		UP1785		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1785		8/10/25 10:57		3726'39.6746"N		794'25.3208"W		184.663		300012.866		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		100		100		3		12		11.964		0.965		-88.269		Yes		8/10/25 10:57		FLOAT RTK		32		1.04		0.59		0.86		9876		-1340		Yes		FLOAT RTK		3D		0.8		24		3.313		2.577		0.512		8.394				WME		Water Meter

		UP1786		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1786		8/10/25 10:57		3726'39.6813"N		794'25.2939"W		2.273		300015.139		0		UNKNOWN		17		32768		CLASSIC		OMNI PEAK		139		74.639		100		14		8		14.692		0.819		52.406		Yes		8/10/25 10:57		RTK		31		1.08		0.62		0.88		9880		-1340		Yes		RTK		3D		2		24		0.591		0.472		0.433		1.513				WME		Water Meter

		UP1787		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1787		8/10/25 10:59		3726'39.1279"N		794'26.2714"W		96.699		300111.838		0		UNKNOWN		72		32768		CLASSIC		OMNI PEAK		139		100		100		7		11		6.545		-3.561		47.63		Yes		8/10/25 10:59		RTK		32		1.01		0.57		0.83		9869		-1340		Yes		RTK		3D		0.6		24		0.948		0.672		0.591		2.323				WME		Water Meter

		UP1788		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1788		8/10/25 11:00		3726'38.6115"N		794'27.5632"W		116.496		300228.334		0		UNKNOWN		13		32768		CLASSIC		OMNI PEAK		139		100		100		0		11		11.193		-0.517		-85.772		Yes		8/10/25 11:01		RTK		31		1		0.57		0.83		9871		-1340		Yes		RTK		3D		1.2		24		0.512		0.394		0.394		1.291				WME		Water Meter

		UP1789		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1789		8/10/25 11:01		3726'38.2014"N		794'27.9029"W		49.792		300278.126		0		UNKNOWN		63		32768		CLASSIC		OMNI PEAK		139		87.919		100		0		9		5.776		-2.153		-78.194		Yes		8/10/25 11:01		RTK		31		1		0.57		0.83		9866		-1340		Yes		RTK		3D		0.8		24		1.05		0.85		0.63		2.702				WME		Water Meter

		UP1790		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1790		8/10/25 11:20		3726'36.1536"N		794'49.0496"W		1715.918		301994.044		0		UNKNOWN		1		32768		CLASSIC		OMNI PEAK		139		100		100		-13		11		11.138		0.75		-77.127		Yes		8/10/25 11:20		RTK		32		0.92		0.54		0.74		10084		-1340		Yes		RTK		3D		1.2		24		0.433		0.335		0.394		1.095				WME		Water Meter

		UP1791		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1791		8/10/25 11:22		3726'36.0122"N		794'46.8086"W		181.073		302175.117		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		100		100		2		7		8.281		1.453		-81.96		Yes		8/10/25 11:22		RTK		32		0.94		0.56		0.75		10083		-1340		Yes		RTK		3D		1.2		24		0.948		0.551		0.551		2.192				WME		Water Meter

		UP1792		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1792		8/10/25 11:23		3726'35.9962"N		794'45.5836"W		98.691		302273.807		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		139		100		100		5		7		16.524		0.975		-55.322		Yes		8/10/25 11:23		RTK		32		0.94		0.55		0.76		10063		-1340		Yes		RTK		3D		0.8		24		0.759		0.472		0.433		1.787				WME		Water Meter

		UP1793		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1793		8/10/25 11:27		3726'36.0268"N		794'43.3089"W		183.242		302457.05		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		93.391		100		0		12		8.558		-2.502		28.6		Yes		8/10/25 11:27		RTK		32		0.94		0.55		0.76		10038		-1340		Yes		RTK		3D		0.6		24		0.85		0.591		0.551		2.071				WME		Water Meter

		UP1794		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1794		8/10/25 11:28		3726'36.1381"N		794'42.2627"W		85.021		302542.071		0		UNKNOWN		1		32768		CLASSIC		OMNI PEAK		139		100		100		-2		7		6.547		-0.247		-33.804		Yes		8/10/25 11:28		RTK		31		1.06		0.61		0.87		10044		-1340		Yes		RTK		3D		0.4		24		1.157		0.759		0.591		2.768				WME		Water Meter

		UP1795		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1795		8/10/25 11:29		3726'36.3388"N		794'40.2370"W		164.428		302706.499		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		100		100		3		11		1.449		2.421		-86.613		Yes		8/10/25 11:29		RTK		31		1.08		0.62		0.89		10037		-1340		Yes		RTK		3D		1		24		0.759		0.551		0.512		1.875				WME		Water Meter

		UP1796		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1796		8/10/25 11:30		3726'36.3002"N		794'38.1340"W		169.434		302875.933		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		20.354		100		1		13		8.576		-1.55		-70.941		Yes		8/10/25 11:30		RTK		30		1.18		0.66		0.98		10009		-1340		Yes		RTK		3D		1.6		24		0.591		0.512		0.512		1.563				WME		Water Meter

		UP1797		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1797		8/10/25 11:33		3726'36.1258"N		794'41.7777"W		294.019		303169.952		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		100		100		3		9		4.955		-0.698		-88.352		Yes		8/10/25 11:33		RTK		30		1.24		0.7		1.02		10044		-1340		Yes		RTK		3D		0.6		24		0.948		0.672		0.591		2.323				WME		Water Meter

		UP1798		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1798		8/11/25 9:06		3726'36.2870"N		795'15.3265"W		2702.306		305872.259		0		UNKNOWN		68		32768		CLASSIC		OMNI PEAK		139		9.809		100		-19		12		12.725		1.974		33.879		Yes		8/11/25 9:06		RTK		32		1.11		0.56		0.96		10420		-1339		Yes		RTK		3D		0.6		397		1.157		0.591		0.551		2.599				WME		Water Meter

		UP1799		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1799		8/11/25 9:07		3726'36.1698"N		795'14.8028"W		43.829		305916.087		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		139		100		100		0		8		2.958		0.993		82.199		Yes		8/11/25 9:07		RTK		32		1.11		0.56		0.96		10415		-1339		Yes		RTK		3D		0.6		397		1.388		0.672		0.669		3.085				WME		Water Meter

		UP1800		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1800		8/11/25 9:08		3726'35.6797"N		795'11.1641"W		297.274		306213.361		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		0.835		100		1		9		7.866		-0.677		51.852		Yes		8/11/25 9:08		RTK		32		1.07		0.54		0.93		10453		-1340		Yes		RTK		3D		1		397		0.551		0.433		0.394		1.402				WME		Water Meter

		UP1801		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1801		8/11/25 9:09		3726'35.5007"N		795'9.7228"W		117.508		306330.869		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		6.817		100		-39		7		7.978		0.79		-9.053		Yes		8/11/25 9:09		RTK		32		1.08		0.54		0.93		10489		-1340		Yes		RTK		3D		1.2		397		0.759		0.551		0.472		1.875				WME		Water Meter

		UP1802		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1802		8/11/25 9:12		3726'35.6569"N		795'7.7476"W		159.879		306490.748		0		UNKNOWN		138		32768		CLASSIC		OMNI PEAK		139		10.497		100		-37		9		13.09		-2.842		-25.073		Yes		8/11/25 9:12		RTK		32		1.08		0.54		0.93		10496		-1340		Yes		RTK		3D		0.6		397		1.05		0.551		0.472		2.372				WME		Water Meter

		UP1803		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1803		8/11/25 9:13		3726'35.7246"N		795'6.5837"W		94.004		306584.752		0		UNKNOWN		7		32768		CLASSIC		OMNI PEAK		139		18.394		100		6		8		10.069		-0.731		-86.122		Yes		8/11/25 9:13		RTK		32		1.14		0.61		0.96		10466		-1340		Yes		RTK		3D		1.4		397		1.512		0.759		0.591		3.383				WME		Water Meter

		UP1804		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1804		8/11/25 9:15		3726'35.9186"N		795'4.8894"W		137.883		306722.635		0		UNKNOWN		8		32768		CLASSIC		OMNI PEAK		139		21.719		100		4		7		11.459		0.305		-58.602		Yes		8/11/25 9:15		RTK		32		1.08		0.55		0.93		10418		-1340		Yes		RTK		3D		1		397		1.05		0.591		0.551		2.409				WME		Water Meter

		UP1805		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1805		8/11/25 9:16		3726'36.0276"N		795'3.5564"W		107.94		306830.575		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		39.282		100		3		9		7.349		0.941		-67.832		Yes		8/11/25 9:16		RTK		32		1.09		0.56		0.94		10414		-1340		Yes		RTK		3D		0.4		397		1.27		0.672		0.591		2.874				WME		Water Meter

		UP1806		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1806		8/11/25 9:17		3726'36.1415"N		795'2.8833"W		55.427		306886.003		0		UNKNOWN		13		32768		CLASSIC		OMNI PEAK		139		23.957		100		4		11		12.866		6.449		-72.252		Yes		8/11/25 9:17		RTK		31		1.08		0.55		0.93		10443		-1340		Yes		RTK		3D		1		397		0.672		0.472		0.433		1.643				WME		Water Meter

		UP1807		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1807		8/11/25 9:18		3726'36.3352"N		795'1.3845"W		122.315		307008.318		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		9.578		100		0		8		9.285		1.677		-58.302		Yes		8/11/25 9:18		RTK		31		1.07		0.55		0.93		10422		-1340		Yes		RTK		3D		0.4		397		0.672		0.433		0.433		1.599				WME		Water Meter

		UP1808		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1808		8/11/25 9:20		3726'36.3898"N		795'1.6361"W		21.011		307029.329		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		3.617		100		3		9		7.572		-0.046		-64.747		Yes		8/11/25 9:20		RTK		32		1.07		0.55		0.92		10395		-1340		Yes		RTK		3D		0.8		397		1.64		0.591		0.63		3.487				WME		Water Meter

		UP1809		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1809		8/11/25 9:22		3726'36.5687"N		794'59.3842"W		182.294		307211.623		0		UNKNOWN		17		32768		CLASSIC		OMNI PEAK		139		24.01		100		-1		6		8.362		3.23		43.483		Yes		8/11/25 9:22		RTK		32		1.09		0.57		0.93		10391		-1340		Yes		RTK		3D		0.8		397		0.591		0.472		0.433		1.513				WME		Water Meter

		UP1810		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1810		8/11/25 9:23		3726'36.8973"N		794'57.3937"W		163.759		307375.381		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		139		66.758		100		1		4		5.606		0.647		-82.208		Yes		8/11/25 9:23		RTK		32		1.09		0.57		0.93		10302		-1340		Yes		RTK		3D		0.4		397		1.05		0.512		0.512		2.336				WME		Water Meter

		UP1811		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1811		8/11/25 9:24		3726'36.9324"N		794'55.8411"W		125.106		307500.487		0		UNKNOWN		1		32768		CLASSIC		OMNI PEAK		139		89.978		100		-2		6		4.444		0.172		-85.999		Yes		8/11/25 9:24		RTK		32		1.09		0.57		0.93		10245		-1340		Yes		RTK		3D		1.8		397		1.05		0.512		0.472		2.336				WME		Water Meter

		UP1812		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1812		8/11/25 9:25		3726'36.8581"N		794'57.1316"W		104.221		307604.708		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		66.943		100		0		8		4.903		0.886		-73.878		Yes		8/11/25 9:25		RTK		32		1.08		0.57		0.92		10302		-1340		Yes		RTK		3D		1.2		397		1.27		0.85		0.63		3.057				WME		Water Meter

		UP1813		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1813		8/11/25 9:28		3726'36.7144"N		794'53.2891"W		309.845		307914.553		0		UNKNOWN		5		32768		CLASSIC		OMNI PEAK		139		47.096		100		0		6		12.609		-2.26		-88.794		Yes		8/11/25 9:28		RTK		32		1.06		0.55		0.9		10178		-1340		Yes		RTK		3D		1		397		0.759		0.512		0.472		1.83				WME		Water Meter

		UP1814		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1814		8/11/25 9:28		3726'36.5440"N		794'52.0394"W		102.137		308016.691		0		UNKNOWN		362		32768		CLASSIC		OMNI PEAK		139		15.878		100		-5		10		7.728		-0.041		-85.696		Yes		8/11/25 9:28		RTK		32		1.06		0.55		0.9		10128		-1340		Yes		RTK		3D		1		397		0.672		0.433		0.472		1.599				WME		Water Meter

		UP1815		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1815		8/11/25 10:00		3727'27.7969"N		794'55.2731"W		0		308016.691		0		UNKNOWN		18		32768		CLASSIC		OMNI PEAK		139		92.729		100		0		11		4.858		0.312		36.149		Yes		8/11/25 10:00		RTK		32		1.13		0.56		0.99		9940		-1340		Yes		RTK		3D		0.4		397		0.948		0.672		0.591		2.323				WME		Water Meter

		UP1816		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1816		8/11/25 10:00		3727'27.7819"N		794'55.2919"W		2.149		308018.84		0		UNKNOWN		64		32768		CLASSIC		OMNI PEAK		139		61.876		100		1		7		14.136		-2.279		19.642		Yes		8/11/25 10:01		RTK		32		1.13		0.56		0.99		9939		-1340		Yes		RTK		3D		1		397		0.591		0.591		0.472		1.67				WME		Water Meter

		UP1817		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1817		8/11/25 10:06		3727'26.1285"N		794'56.7936"W		206.786		308225.625		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		27.521		100		20		7		7.213		-2.738		-19.791		Yes		8/11/25 10:06		RTK		32		1.16		0.57		1.02		10005		-1340		Yes		RTK		3D		0.8		397		0.433		0.394		0.394		1.171				WME		Water Meter

		UP1818		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1818		8/11/25 10:06		3727'26.1117"N		794'56.8047"W		1.927		308227.552		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		139		100		100		0		13		14.743		-3.865		-45.46		Yes		8/11/25 10:06		RTK		32		1.16		0.57		1.02		10006		-1340		Yes		RTK		3D		0.6		397		0.512		0.433		0.394		1.341				WME		Water Meter

		UP1819		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1819		8/11/25 10:11		3727'24.8853"N		794'57.9402"W		154.407		308381.959		0		UNKNOWN		16		32768		CLASSIC		OMNI PEAK		139		89.831		100		0		10		4.611		-0.78		-24.251		Yes		8/11/25 10:11		RTK		31		1.14		0.57		0.99		10002		-1340		Yes		RTK		3D		0.4		397		0.386		0.366		0.394		1.064				WME		Water Meter

		UP1820		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1820		8/11/25 10:12		3727'24.2063"N		794'58.6298"W		88.482		308470.441		0		UNKNOWN		36		32768		CLASSIC		OMNI PEAK		139		59.715		100		3		9		5.462		-2.444		87.788		Yes		8/11/25 10:12		RTK		32		1.14		0.57		0.99		9958		-1340		Yes		RTK		3D		1.2		397		1.157		0.85		0.63		2.873				WME		Water Meter

		UP1821		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1821		8/11/25 10:14		3727'21.9652"N		795'0.6467"W		279.422		308749.863		0		UNKNOWN		50		32768		CLASSIC		OMNI PEAK		139		88.542		100		4		11		10.846		-4.901		-34.731		Yes		8/11/25 10:14		RTK		32		1.08		0.55		0.93		10004		-1340		Yes		RTK		3D		0.6		397		0.551		0.512		0.433		1.504				WME		Water Meter

		UP1822		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1822		8/11/25 10:15		3727'21.1015"N		795'1.3540"W		104.509		308854.372		0		UNKNOWN		37		32768		CLASSIC		OMNI PEAK		139		58.909		100		4		6		8.62		-0.07		-24.507		Yes		8/11/25 10:15		RTK		32		1.08		0.55		0.93		10078		-1340		Yes		RTK		3D		0.8		397		0.591		0.472		0.472		1.513				WME		Water Meter

		UP1823		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1823		8/11/25 10:16		3727'20.2175"N		795'2.2022"W		112.735		308967.107		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		8.687		100		-3		10		10.456		-1.686		-52.718		Yes		8/11/25 10:16		RTK		32		1.07		0.55		0.92		10150		-1340		Yes		RTK		3D		0.6		397		0.591		0.551		0.472		1.616				WME		Water Meter

		UP1824		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1824		8/11/25 10:16		3727'19.3634"N		795'2.8577"W		101.464		309068.571		0		UNKNOWN		17		32768		CLASSIC		OMNI PEAK		139		100		100		4		9		7.878		-2.937		61.323		Yes		8/11/25 10:16		RTK		32		1.07		0.55		0.92		10195		-1340		Yes		RTK		3D		1.2		397		0.382		0.346		0.394		1.031				WME		Water Meter

		UP1825		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1825		8/11/25 10:18		3727'18.5213"N		795'3.5339"W		101.311		309169.882		0		UNKNOWN		30		32768		CLASSIC		OMNI PEAK		139		43.489		100		0		14		2.511		-2.89		-62.272		Yes		8/11/25 10:18		RTK		32		1.04		0.54		0.89		10247		-1340		Yes		RTK		3D		0.8		397		0.759		0.551		0.472		1.875				WME		Water Meter

		UP1826		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1826		8/11/25 10:21		3727'16.3312"N		795'5.4734"W		271.601		309441.482		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		139		100		100		-3		9		5.931		2.437		75.105		Yes		8/11/25 10:21		RTK		31		1.04		0.55		0.89		10360		-1340		Yes		RTK		3D		0.6		397		0.512		0.433		0.394		1.341				WME		Water Meter

		UP1827		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1827		8/11/25 10:23		3727'17.6537"N		795'4.2045"W		168.661		309610.144		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		78.312		100		3		10		8.773		-0.99		-56.787		Yes		8/11/25 10:23		RTK		32		1.08		0.56		0.92		10289		-1340		Yes		RTK		3D		1.2		397		1.05		0.85		0.591		2.702				WME		Water Meter

		UP1828		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1828		8/11/25 10:26		3727'19.7154"N		795'3.5570"W		215.564		309825.708		0		UNKNOWN		148		32768		CLASSIC		OMNI PEAK		139		48.418		100		0		9		7.235		0.392		-18.35		Yes		8/11/25 10:26		RTK		31		1.09		0.57		0.92		10263		-1340		Yes		RTK		3D		1		397		0.672		0.551		0.472		1.738				WME		Water Meter

		UP1829		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1829		8/11/25 10:28		3727'20.5557"N		795'2.9224"W		99.39		309925.097		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		139		97.677		100		-7		7		6.653		-2.871		-38.894		Yes		8/11/25 10:28		FLOAT RTK		32		1.06		0.56		0.9		10188		-1340		Yes		FLOAT RTK		3D		0.8		397		5.338		3.129		0.866		12.374				WME		Water Meter

		UP1830		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1830		8/11/25 10:28		3727'20.5755"N		795'2.9044"W		2.482		309927.579		0		UNKNOWN		9		32768		CLASSIC		OMNI PEAK		139		100		100		0		5		10.228		-0.919		-43.042		Yes		8/11/25 10:28		FLOAT RTK		32		1.06		0.56		0.9		10186		-1340		Yes		FLOAT RTK		3D		0.8		397		4.417		3.497		0.748		11.268				WME		Water Meter

		UP1831		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1831		8/11/25 10:30		3727'21.4469"N		795'2.1411"W		107.673		310035.252		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		80.334		100		0		13		9.923		0.686		62.195		Yes		8/11/25 10:30		RTK		32		1.05		0.56		0.89		10145		-1340		Yes		RTK		3D		0.4		397		1.05		0.759		0.512		2.59				WME		Water Meter

		UP1832		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1832		8/11/25 10:31		3727'22.5559"N		795'1.1424"W		138.294		310173.546		0		UNKNOWN		23		32768		CLASSIC		OMNI PEAK		139		100		100		-3		9		3.612		-0.321		81.632		Yes		8/11/25 10:31		RTK		32		1.05		0.56		0.89		10045		-1340		Yes		RTK		3D		0.8		397		1.157		0.672		0.591		2.677				WME		Water Meter

		UP1833		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1833		8/11/25 10:32		3727'23.0658"N		795'0.6984"W		62.89		310236.436		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		139		100		100		0		11		9.305		-1.681		-69.339		Yes		8/11/25 10:32		RTK		32		1.04		0.56		0.88		9998		-1340		Yes		RTK		3D		1		397		0.759		0.591		0.472		1.923				WME		Water Meter

		UP1834		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1834		8/11/25 10:32		3727'23.0756"N		795'0.6801"W		1.777		310238.213		0		UNKNOWN		59		32768		CLASSIC		OMNI PEAK		139		92.681		100		0		12		8.436		-0.27		10.775		Yes		8/11/25 10:33		RTK		32		1.04		0.56		0.88		9996		-1340		Yes		RTK		3D		2		397		0.591		0.551		0.433		1.616				WME		Water Meter

		UP1835		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1835		8/11/25 10:33		3727'23.0933"N		795'0.6833"W		1.818		310240.03		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		69.52		100		1		11		14.305		-0.214		58.453		Yes		8/11/25 10:33		RTK		32		1.04		0.56		0.88		9994		-1340		Yes		RTK		3D		0.8		397		0.85		0.672		0.512		2.168				WME		Water Meter

		UP1836		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1836		8/11/25 10:35		3727'23.8230"N		794'59.9563"W		94.375		310334.405		0		UNKNOWN		19		32768		CLASSIC		OMNI PEAK		139		100		100		0		12		8.023		-2.766		-72.88		Yes		8/11/25 10:35		DGPS SPS VALID		32		1.03		0.56		0.87		9958		-1340		Yes		DIFFERENTIAL		3D		0.4		397		4.465		3.189		3.701		10.973				WME		Water Meter

		UP1837		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1837		8/11/25 10:35		3727'23.8321"N		794'59.9543"W		0.937		310335.342		0		UNKNOWN		35		32768		CLASSIC		OMNI PEAK		139		51.557		98		0		7		54.049		9.653		56.308		Yes		8/11/25 10:35		RTK		32		1.03		0.56		0.87		9960		-1340		Yes		RTK		3D		1		397		0.512		0.433		0.394		1.341				WME		Water Meter

		UP1838		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1838		8/11/25 10:35		3727'23.8525"N		794'59.9376"W		2.475		310337.818		0		UNKNOWN		147		32768		CLASSIC		OMNI PEAK		139		28.186		98		6		5		13.825		-0.595		-14.36		Yes		8/11/25 10:35		RTK		32		1.03		0.56		0.86		9958		-1340		Yes		RTK		3D		0.4		397		0.433		0.366		0.394		1.134				WME		Water Meter

		UP1839		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1839		8/11/25 10:37		3727'25.7694"N		794'58.1965"W		239.746		310577.564		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		67.475		100		-3		9		10.134		-0.362		22.485		Yes		8/11/25 10:37		RTK		32		1.02		0.56		0.86		9977		-1340		Yes		RTK		3D		1		397		0.512		0.433		0.394		1.341				WME		Water Meter

		UP1840		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1840		8/11/25 10:37		3727'26.4528"N		794'57.5180"W		88.273		310665.837		0		UNKNOWN		61		32768		CLASSIC		OMNI PEAK		139		33.732		100		0		12		8.303		-2.319		-20.146		Yes		8/11/25 10:37		RTK		32		1.02		0.56		0.86		9988		-1340		Yes		RTK		3D		0.6		397		0.551		0.433		0.394		1.402				WME		Water Meter

		UP1841		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1841		8/11/25 10:52		3727'32.8688"N		794'47.8919"W		1012.231		311678.067		0		UNKNOWN		14		32768		CLASSIC		OMNI PEAK		139		69.458		100		-5		9		11.496		-2.055		87.678		Yes		8/11/25 10:52		GPS SPS VALID		29		0.94		0.53		0.78		9724		-1340		Yes		AUTONOMOUS		3D		0		0		42.008		38.976		33.071		114.609				WME		Water Meter

		UP1842		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1842		8/11/25 10:52		3727'32.8698"N		794'47.8622"W		2.39		311680.458		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		139		100		100		3		4		28.546		7.932		79.73		Yes		8/11/25 10:52		DGPS SPS VALID		29		1.07		0.61		0.88		9719		-1340		Yes		DIFFERENTIAL		3D		0.8		492		63.78		60.591		33.465		175.944				WME		Water Meter

		UP1843		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1843		8/11/25 10:52		3727'32.8112"N		794'48.0080"W		13.161		311693.618		0		UNKNOWN		24		32768		CLASSIC		OMNI PEAK		139		37.986		100		10		4		45.296		0.583		63.676		Yes		8/11/25 10:52		GPS SPS VALID		28		0.91		0.53		0.74		10036		-1340		Yes		AUTONOMOUS		3D		0		0		86.614		77.953		66.929		233.055				WME		Water Meter

		UP1844		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1844		8/11/25 10:52		3727'32.8283"N		794'47.9871"W		2.417		311696.035		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		38.071		100		-5		6		47.862		4.32		-33.823		Yes		8/11/25 10:52		GPS SPS VALID		28		0.91		0.53		0.74		9961		-1340		Yes		AUTONOMOUS		3D		0		0		64.961		60.63		51.181		177.717				WME		Water Meter

		UP1845		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1845		8/11/25 10:52		3727'32.8616"N		794'48.0651"W		7.129		311703.164		0		UNKNOWN		170		32768		CLASSIC		OMNI PEAK		140		17.168		100		3		5		59.25		-1.227		29.895		Yes		8/11/25 10:52		GPS SPS VALID		26		0.95		0.53		0.79		9896		-1340		Yes		AUTONOMOUS		3D		0		0		47.638		47.638		38.583		134.74				WME		Water Meter

		UP1846		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1846		8/11/25 10:52		3727'32.8646"N		794'48.0456"W		1.595		311704.759		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		8.024		100		93		7		49.591		2.297		28.02		Yes		8/11/25 10:52		GPS SPS VALID		28		0.95		0.53		0.79		9871		-1340		Yes		AUTONOMOUS		3D		0		0		43.307		41.142		34.252		119.468				WME		Water Meter

		UP1847		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1847		8/11/25 10:53		3727'32.8484"N		794'47.8842"W		13.102		311717.861		0		UNKNOWN		71		32768		CLASSIC		OMNI PEAK		140		15.447		100		23		9		26.469		-0.165		59.452		Yes		8/11/25 10:53		RTK		29		0.98		0.56		0.81		9744		-1340		Yes		RTK		3D		3.8		496		1.512		1.157		0.591		3.808				WME		Water Meter

		UP1848		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1848		8/11/25 10:57		3727'37.7550"N		794'42.7757"W		645.764		312363.625		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		53.973		100		-56		12		6.725		-1.107		20.346		Yes		8/11/25 10:57		FLOAT RTK		32		0.97		0.57		0.79		9763		-1340		Yes		FLOAT RTK		3D		0.8		496		13.252		9.387		1.693		32.479				WME		Water Meter

		UP1849		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1849		8/11/25 11:23		3729'9.3138"N		793'14.5497"W		0		312363.625		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.591		100		0		10		10.474		-0.254		-1.867		Yes		8/11/25 11:23		RTK		29		1.45		0.84		1.18		9574		-1340		Yes		RTK		3D		3.4		521		2.207		1.388		0.866		5.215				WME		Water Meter

		UP1850		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1850		8/11/25 11:23		3729'9.7509"N		793'13.2351"W		114.739		312478.364		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		1.61		100		70		5		15.589		-1.17		19.303		Yes		8/11/25 11:23		RTK		28		1.45		0.84		1.18		9626		-1340		Yes		RTK		3D		1.2		521		2.058		1.157		0.866		4.722				WME		Water Meter

		UP1851		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1851		8/11/25 11:24		3729'10.7861"N		793'13.4453"W		106.371		312584.735		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		1.737		100		-16		6		11.226		-3.156		38.676		Yes		8/11/25 11:24		RTK		28		1.45		0.84		1.18		9702		-1340		Yes		RTK		3D		1.6		521		0.948		0.672		0.63		2.323				WME		Water Meter

		UP1852		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1852		8/11/25 11:25		3729'11.7568"N		793'13.6800"W		100.28		312685.014		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		1.374		100		12		7		10.921		-0.59		19.076		Yes		8/11/25 11:25		RTK		28		1.45		0.84		1.18		9731		-1340		Yes		RTK		3D		1		521		0.759		0.591		0.63		1.923				WME		Water Meter

		UP1853		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1853		8/11/25 11:27		3729'11.4287"N		793'15.8545"W		178.184		312863.199		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		2.346		100		-7		9		6.877		-0.785		-26.567		Yes		8/11/25 11:27		RTK		31		1.5		0.85		1.24		9741		-1340		Yes		RTK		3D		0.4		521		1.913		1.774		0.945		5.219				WME		Water Meter

		UP1854		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1854		8/11/25 11:32		3729'12.3255"N		793'19.1555"W		280.876		313144.075		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.28		100		8		10		8.981		0.825		54.299		Yes		8/11/25 11:32		RTK		32		1.24		0.73		1		9991		-1340		Yes		RTK		3D		0.8		521		1.27		0.85		0.669		3.057				WME		Water Meter

		UP1855		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1855		8/11/25 11:32		3729'11.4477"N		793'17.6375"W		151.213		313295.288		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		140		20.416		100		0		13		7.544		-3.261		14.232		Yes		8/11/25 11:32		RTK		32		1.16		0.67		0.95		9831		-1340		Yes		RTK		3D		7		521		0.672		0.551		0.472		1.738				WME		Water Meter

		UP1856		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1856		8/12/25 8:02		3729'14.6051"N		793'20.6071"W		399.695		313694.983		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		3.894		100		7		12		8.739		1.765		-19.763		Yes		8/12/25 8:02		RTK		32		1.02		0.49		0.89		10123		-1340		Yes		RTK		3D		1.2		1105		0.433		0.358		0.394		1.124				WME		Water Meter

		UP1857		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1857		8/12/25 8:04		3729'14.3210"N		793'19.9641"W		59.248		313754.231		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		2.589		100		-3		8		14.809		-0.448		79.301		Yes		8/12/25 8:04		RTK		31		1.01		0.49		0.89		10111		-1340		Yes		RTK		3D		1		1105		0.472		0.354		0.394		1.181				WME		Water Meter

		UP1858		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1858		8/12/25 8:09		3729'13.5490"N		793'19.2791"W		95.784		313850.014		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		13.785		100		5		11		9.592		-2.075		-32.088		Yes		8/12/25 8:09		RTK		32		1.06		0.51		0.93		10055		-1340		Yes		RTK		3D		0.4		1106		0.319		0.22		0.394		0.775				WME		Water Meter

		UP1859		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1859		8/12/25 8:13		3729'11.9226"N		793'17.4852"W		219.27		314069.284		0		UNKNOWN		58		32768		CLASSIC		OMNI PEAK		140		7.207		100		12		6		5.755		-0.639		1.55		Yes		8/12/25 8:13		RTK		32		1		0.49		0.87		9820		-1340		Yes		RTK		3D		0.6		1106		0.433		0.303		0.394		1.057				WME		Water Meter

		UP1860		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1860		8/12/25 8:15		3729'12.6011"N		793'13.8777"W		298.453		314367.737		0		UNKNOWN		26		32768		CLASSIC		OMNI PEAK		140		19.427		100		-1		12		15.418		0.051		-85.982		Yes		8/12/25 8:15		RTK		32		1.03		0.5		0.9		9729		-1340		Yes		RTK		3D		1.2		1106		0.299		0.268		0.394		0.803				WME		Water Meter

		UP1861		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1861		8/12/25 8:17		3729'13.2867"N		793'14.0291"W		70.62		314438.357		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		7.861		100		27		9		11.006		0.657		-21.109		Yes		8/12/25 8:17		RTK		32		0.99		0.49		0.86		9725		-1340		Yes		RTK		3D		1.2		1106		0.433		0.35		0.394		1.114				WME		Water Meter

		UP1862		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1862		8/12/25 8:18		3729'14.3468"N		793'14.3474"W		110.548		314548.905		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.747		100		0		8		13.907		0.662		69.373		Yes		8/12/25 8:18		RTK		32		0.98		0.49		0.85		9691		-1340		Yes		RTK		3D		6		1106		0.472		0.335		0.394		1.158				WME		Water Meter

		UP1863		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1863		8/12/25 8:19		3729'15.2262"N		793'14.5335"W		90.468		314639.373		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		1.592		100		-62		9		11.189		-2.833		33.433		Yes		8/12/25 8:19		RTK		32		1.02		0.5		0.89		9644		-1340		Yes		RTK		3D		1.2		1106		0.591		0.433		0.472		1.465				WME		Water Meter

		UP1864		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1864		8/12/25 8:20		3729'16.1670"N		793'14.7741"W		97.394		314736.767		0		UNKNOWN		19		32768		CLASSIC		OMNI PEAK		140		8.017		100		-33		9		6.252		-1.072		-46.958		Yes		8/12/25 8:20		RTK		32		1.09		0.53		0.96		9587		-1340		Yes		RTK		3D		1.2		1106		0.591		0.472		0.433		1.513				WME		Water Meter

		UP1865		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1865		8/12/25 8:26		3729'18.3870"N		793'15.3253"W		229.551		314966.318		0		UNKNOWN		100		32768		CLASSIC		OMNI PEAK		140		6.996		100		37		11		10.451		-0.629		-85.386		Yes		8/12/25 8:26		RTK		32		1.05		0.52		0.91		9528		-1340		Yes		RTK		3D		1		1106		0.591		0.433		0.394		1.465				WME		Water Meter

		UP1866		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1866		8/12/25 8:28		3729'21.8334"N		793'16.1140"W		355.357		315321.675		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		5.046		100		3		9		8.36		-1.029		-28.272		Yes		8/12/25 8:28		RTK		32		1.04		0.52		0.9		9357		-1340		Yes		RTK		3D		1.2		1106		0.591		0.394		0.394		1.42				WME		Water Meter

		UP1867		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1867		8/12/25 8:29		3729'23.1199"N		793'16.4513"W		133.303		315454.978		0		UNKNOWN		80		32768		CLASSIC		OMNI PEAK		140		5.056		100		-16		9		10.179		-0.991		53.882		Yes		8/12/25 8:29		RTK		32		1.03		0.52		0.9		9365		-1340		Yes		RTK		3D		0.4		1106		0.591		0.433		0.394		1.465				WME		Water Meter

		UP1868		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1868		8/12/25 8:31		3729'24.0338"N		793'16.5398"W		92.995		315547.973		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		1.937		100		-1		9		9.668		-0.786		-4.755		Yes		8/12/25 8:31		RTK		32		1.12		0.58		0.96		9393		-1340		Yes		RTK		3D		17		1106		1.512		0.591		0.591		3.246				WME		Water Meter

		UP1869		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1869		8/12/25 8:33		3729'20.5729"N		793'16.5661"W		351.121		315899.093		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		1.904		100		28		9		10.269		1.024		-14.594		Yes		8/12/25 8:33		RTK		32		1.04		0.53		0.9		9472		-1340		Yes		RTK		3D		0.8		1106		0.759		0.512		0.433		1.83				WME		Water Meter

		UP1870		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1870		8/12/25 8:35		3729'17.2768"N		793'15.7777"W		340.355		316239.449		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		22.979		100		-2		12		17.986		-0.424		-4.222		Yes		8/12/25 8:35		RTK		32		1.06		0.55		0.9		9591		-1340		Yes		RTK		3D		1.4		1106		0.591		0.433		0.394		1.465				WME		Water Meter

		UP1871		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1871		8/12/25 8:40		3729'30.9370"N		793'21.1626"W		1452.038		317691.486		0		UNKNOWN		885		32768		CLASSIC		OMNI PEAK		140		5.355		100		-44		11		15.049		-4.231		79.502		Yes		8/12/25 8:40		RTK		32		1.08		0.57		0.92		9973		-1340		Yes		RTK		3D		0.8		1106		0.85		0.433		0.433		1.909				WME		Water Meter

		UP1872		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1872		8/12/25 8:43		3729'30.9083"N		793'24.5651"W		273.901		317965.387		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		5.643		100		19		6		10.67		0.7		74.904		Yes		8/12/25 8:43		RTK		32		1.02		0.54		0.87		10004		-1340		Yes		RTK		3D		1.2		1106		0.672		0.433		0.433		1.599				WME		Water Meter

		UP1873		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1873		8/12/25 8:45		3729'29.8225"N		793'23.9773"W		119.889		318085.276		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		12.828		100		5		9		13.59		-1.05		40.798		Yes		8/12/25 8:45		RTK		32		1.15		0.62		0.97		9941		-1340		Yes		RTK		3D		0.8		1106		0.948		0.551		0.472		2.192				WME		Water Meter

		UP1874		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1874		8/12/25 8:47		3729'27.6472"N		793'24.0086"W		220.695		318305.972		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.615		100		0		12		7.679		-2.484		86.725		Yes		8/12/25 8:47		RTK		32		1.15		0.63		0.96		9835		-1340		Yes		RTK		3D		0.4		1106		1.512		0.759		0.63		3.383				WME		Water Meter

		UP1875		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1875		8/12/25 8:49		3729'26.6899"N		793'23.8574"W		97.877		318403.849		0		UNKNOWN		13		32768		CLASSIC		OMNI PEAK		140		13.082		100		-1		10		10.395		-0.32		60.556		Yes		8/12/25 8:49		RTK		32		1.04		0.55		0.89		9800		-1340		Yes		RTK		3D		0.6		1106		0.354		0.264		0.394		0.883				WME		Water Meter

		UP1876		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1876		8/12/25 8:50		3729'24.9319"N		793'23.6344"W		179.248		318583.097		0		UNKNOWN		39		32768		CLASSIC		OMNI PEAK		140		14.407		100		-11		10		6.944		-1.781		-72.651		Yes		8/12/25 8:50		RTK		32		1.08		0.58		0.91		9805		-1340		Yes		RTK		3D		1.2		1106		1.774		1.05		0.709		4.123				WME		Water Meter

		UP1877		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1877		8/12/25 8:51		3729'24.2554"N		793'23.5720"W		68.817		318651.914		0		UNKNOWN		25		32768		CLASSIC		OMNI PEAK		140		12.196		100		-1		13		10.065		-0.483		-19.612		Yes		8/12/25 8:51		RTK		32		1.12		0.59		0.95		9830		-1340		Yes		RTK		3D		0.6		1106		0.672		0.433		0.433		1.599				WME		Water Meter

		UP1878		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1878		8/12/25 8:53		3729'23.6233"N		793'23.4520"W		64.85		318716.764		0		UNKNOWN		95		32768		CLASSIC		OMNI PEAK		140		12.284		100		-89		9		5.676		-0.67		39.315		Yes		8/12/25 8:53		RTK		32		1.03		0.55		0.87		9845		-1340		Yes		RTK		3D		1		1106		1.05		0.591		0.551		2.409				WME		Water Meter

		UP1879		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1879		8/12/25 8:55		3729'21.1404"N		793'22.9469"W		255.153		318971.918		0		UNKNOWN		58		32768		CLASSIC		OMNI PEAK		140		4.612		100		0		13		4.241		4.194		-48.029		Yes		8/12/25 8:55		RTK		32		1.07		0.56		0.91		9958		-1340		Yes		RTK		3D		0.8		1106		1.27		0.591		0.591		2.802				WME		Water Meter

		UP1880		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1880		8/12/25 8:57		3729'18.6682"N		793'22.6934"W		251.64		319223.557		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		140		19.446		100		-11		11		7.175		0.578		32.041		Yes		8/12/25 8:57		RTK		32		1.02		0.54		0.86		10058		-1340		Yes		RTK		3D		0.8		1106		1.05		0.591		0.551		2.409				WME		Water Meter

		UP1881		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1881		8/12/25 8:59		3729'15.8682"N		793'23.1710"W		286.645		319510.202		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		5.516		100		12		11		6.42		-4.092		62.361		Yes		8/12/25 8:59		RTK		32		1.01		0.54		0.85		10078		-1340		Yes		RTK		3D		0.8		1106		0.472		0.382		0.394		1.215				WME		Water Meter

		UP1882		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1882		8/12/25 9:07		3729'16.0505"N		793'23.7381"W		49.253		319559.455		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		2.948		100		-6		12		10.206		1.607		-65.722		Yes		8/12/25 9:07		RTK		31		1.06		0.56		0.91		10043		-1340		Yes		RTK		3D		1		1106		1.27		0.472		0.512		2.711				WME		Water Meter

		UP1883		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1883		8/12/25 9:09		3729'17.4969"N		793'23.4695"W		148.313		319707.768		0		UNKNOWN		29		32768		CLASSIC		OMNI PEAK		140		100		100		-2		6		10.981		-0.419		47.381		Yes		8/12/25 9:09		FLOAT RTK		32		0.93		0.51		0.78		10048		-1340		Yes		FLOAT RTK		3D		1		1106		3.681		2.945		0.551		9.428				WME		Water Meter

		UP1884		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1884		8/12/25 9:10		3729'19.0167"N		793'23.3548"W		154.461		319862.229		0		UNKNOWN		10		32768		CLASSIC		OMNI PEAK		140		17.594		100		15		8		10.96		2.603		-17.32		Yes		8/12/25 9:10		RTK		32		1.01		0.57		0.83		10038		-1340		Yes		RTK		3D		0.6		1106		0.512		0.287		0.394		1.174				WME		Water Meter

		UP1885		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1885		8/12/25 9:11		3729'20.0125"N		793'23.4027"W		101.102		319963.331		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		2.308		100		14		11		8.612		2.702		-13.192		Yes		8/12/25 9:11		RTK		32		1.02		0.57		0.84		10009		-1340		Yes		RTK		3D		1.2		1106		0.551		0.366		0.394		1.323				WME		Water Meter

		UP1886		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1886		8/12/25 9:12		3729'21.4934"N		793'23.7325"W		152.563		320115.894		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.13		100		62		13		7.301		-3.595		-29.591		Yes		8/12/25 9:12		RTK		32		0.99		0.53		0.83		9932		-1340		Yes		RTK		3D		0.6		1106		0.512		0.374		0.394		1.268				WME		Water Meter

		UP1887		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1887		8/12/25 9:13		3729'23.1286"N		793'23.9821"W		167.103		320282.996		0		UNKNOWN		328		32768		CLASSIC		OMNI PEAK		140		7.748		100		-68		9		14.01		-1.772		-50.98		Yes		8/12/25 9:13		RTK		32		0.99		0.53		0.83		9864		-1340		Yes		RTK		3D		1.2		1106		0.591		0.433		0.433		1.465				WME		Water Meter

		UP1888		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1888		8/12/25 9:14		3729'24.4371"N		793'24.2646"W		134.688		320417.684		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		1.886		100		18		6		9.325		-1.264		-36.022		Yes		8/12/25 9:14		RTK		31		0.98		0.53		0.83		9817		-1340		Yes		RTK		3D		1.2		1106		1.27		0.591		0.551		2.802				WME		Water Meter

		UP1889		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1889		8/12/25 9:16		3729'27.6137"N		793'24.8066"W		325.203		320742.886		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		140		21.144		100		12		11		15.076		1.53		56.848		Yes		8/12/25 9:17		RTK		32		0.97		0.53		0.82		9866		-1340		Yes		RTK		3D		1		1106		0.85		0.512		0.551		1.985				WME		Water Meter

		UP1890		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1890		8/12/25 9:18		3729'29.2986"N		793'24.9548"W		171.355		320914.241		0		UNKNOWN		481		32768		CLASSIC		OMNI PEAK		140		3.701		100		0		11		7.355		-3.86		-51.502		Yes		8/12/25 9:18		RTK		31		0.99		0.56		0.82		9935		-1340		Yes		RTK		3D		0.6		1106		0.433		0.295		0.394		1.048				WME		Water Meter

		UP1891		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1891		8/12/25 9:19		3729'30.1784"N		793'25.1803"W		91.083		321005.324		0		UNKNOWN		21		32768		CLASSIC		OMNI PEAK		140		6.668		100		-14		7		11.115		-0.526		28.423		Yes		8/12/25 9:19		RTK		32		1.09		0.6		0.91		9975		-1340		Yes		RTK		3D		0.8		1106		0.672		0.394		0.433		1.558				WME		Water Meter

		UP1892		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1892		8/12/25 9:21		3729'31.8686"N		793'25.4212"W		172.562		321177.886		0		UNKNOWN		9		32768		CLASSIC		OMNI PEAK		140		8.002		100		-20		10		7.243		0.218		-17.555		Yes		8/12/25 9:21		RTK		32		1.01		0.55		0.85		10041		-1340		Yes		RTK		3D		0.4		1106		0.85		0.472		0.472		1.946				WME		Water Meter

		UP1893		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1893		8/12/25 9:24		3729'34.0349"N		793'26.3069"W		231.047		321408.933		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		5.871		100		-20		11		12.779		-1.684		22.761		Yes		8/12/25 9:24		RTK		32		1.11		0.58		0.94		10176		-1340		Yes		RTK		3D		0.8		1106		1.64		1.05		0.866		3.895				WME		Water Meter

		UP1894		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1894		8/12/25 9:26		3729'32.5019"N		793'24.9962"W		187.935		321596.868		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		25.194		100		3		12		10.434		-1.466		-22.81		Yes		8/12/25 9:26		RTK		32		1.03		0.56		0.86		10097		-1340		Yes		RTK		3D		1		1106		0.591		0.472		0.472		1.513				WME		Water Meter

		UP1895		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1895		8/12/25 9:30		3729'30.9935"N		793'21.2397"W		338.897		321935.765		0		UNKNOWN		137		32768		CLASSIC		OMNI PEAK		140		8.064		100		-84		7		11.052		-1.316		-29.269		Yes		8/12/25 9:30		RTK		31		1.09		0.58		0.91		9978		-1340		Yes		RTK		3D		0.8		1106		0.759		0.512		0.512		1.83				WME		Water Meter

		UP1896		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1896		8/12/25 9:31		3729'30.1641"N		793'20.3388"W		111.076		322046.841		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		1.861		100		0		9		13.061		0.055		81.616		Yes		8/12/25 9:31		RTK		32		1.16		0.63		0.97		9906		-1340		Yes		RTK		3D		1.4		1106		0.759		0.472		0.472		1.787				WME		Water Meter

		UP1897		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1897		8/12/25 9:33		3729'28.8936"N		793'19.8934"W		133.782		322180.623		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.819		100		-64		12		11.005		-3.646		62.606		Yes		8/12/25 9:33		RTK		32		1.01		0.56		0.84		9796		-1340		Yes		RTK		3D		1.2		1106		0.394		0.327		0.394		1.023				WME		Water Meter

		UP1898		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1898		8/12/25 9:34		3729'29.0813"N		793'19.0172"W		73.061		322253.683		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		3.247		100		4		12		11.41		0.608		-45.234		Yes		8/12/25 9:34		RTK		32		1.2		0.62		1.03		9791		-1340		Yes		RTK		3D		0.6		1106		0.551		0.472		0.472		1.452				WME		Water Meter

		UP1899		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1899		8/12/25 9:35		3729'28.1691"N		793'19.1280"W		92.979		322346.662		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		140		14.884		100		-13		10		8.969		-0.911		0.861		Yes		8/12/25 9:35		RTK		32		1.13		0.61		0.95		9731		-1340		Yes		RTK		3D		1.4		1106		0.472		0.331		0.394		1.153				WME		Water Meter

		UP1900		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1900		8/12/25 9:36		3729'28.3941"N		793'18.3372"W		67.632		322414.294		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.536		100		13		8		9.928		-1.634		53.02		Yes		8/12/25 9:36		RTK		31		1.13		0.61		0.95		9708		-1340		Yes		RTK		3D		1.8		1106		0.394		0.295		0.394		0.984				WME		Water Meter

		UP1901		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1901		8/12/25 9:37		3729'27.8416"N		793'17.8508"W		68.375		322482.669		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		2.49		100		-8		9		14.556		-2.009		-45.6		Yes		8/12/25 9:37		RTK		32		1.2		0.63		1.02		9671		-1340		Yes		RTK		3D		1		1106		0.948		0.512		0.591		2.154				WME		Water Meter

		UP1902		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1902		8/12/25 9:38		3729'27.1466"N		793'17.4137"W		78.8		322561.469		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		7.524		100		26		10		11.231		1.976		39.739		Yes		8/12/25 9:38		RTK		32		1.25		0.64		1.08		9615		-1340		Yes		RTK		3D		0.8		1106		0.433		0.331		0.394		1.09				WME		Water Meter

		UP1903		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1903		8/12/25 9:39		3729'25.5470"N		793'17.6360"W		163.265		322724.734		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.002		100		-32		8		12.077		0.359		68.376		Yes		8/12/25 9:40		RTK		31		1.27		0.64		1.09		9501		-1340		Yes		RTK		3D		1.6		1106		0.591		0.472		0.472		1.513				WME		Water Meter

		UP1904		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1904		8/12/25 9:41		3729'25.3520"N		793'16.8993"W		62.509		322787.243		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		1.007		100		13		12		11.127		-1.045		5.125		Yes		8/12/25 9:41		RTK		32		1.38		0.67		1.21		9474		-1340		Yes		RTK		3D		2		1106		0.472		0.362		0.394		1.191				WME		Water Meter

		UP1905		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1905		8/12/25 9:58		3729'42.3225"N		793'32.4947"W		2130.72		324917.963		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		3.478		100		-24		8		13.007		-2.56		-81.494		Yes		8/12/25 9:58		RTK		32		1.11		0.6		0.94		9848		-1340		Yes		RTK		3D		1.2		1106		0.512		0.394		0.394		1.291				WME		Water Meter

		UP1906		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1906		8/12/25 10:01		3729'41.0950"N		793'31.3849"W		153.256		325071.219		0		UNKNOWN		30		32768		CLASSIC		OMNI PEAK		140		13.365		100		-10		8		9.366		-1.874		31.488		Yes		8/12/25 10:01		RTK		32		1.13		0.61		0.95		9922		-1340		Yes		RTK		3D		1.4		1106		1.27		0.591		0.669		2.802				WME		Water Meter

		UP1907		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1907		8/12/25 10:05		3729'37.9171"N		793'29.3123"W		363.008		325434.227		0		UNKNOWN		372		32768		CLASSIC		OMNI PEAK		140		7.546		100		-1		10		4.432		-0.881		-9.265		Yes		8/12/25 10:05		FLOAT RTK		31		1.08		0.59		0.9		10123		-1340		Yes		FLOAT RTK		3D		1.2		1106		8.467		4.785		1.024		19.451				WME		Water Meter

		UP1908		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1908		8/12/25 10:14		3729'36.2368"N		793'27.6561"W		216.402		325650.629		0		UNKNOWN		61		32768		CLASSIC		OMNI PEAK		140		16.875		100		-7		8		20.681		1.197		4.497		Yes		8/12/25 10:14		RTK		32		1.07		0.6		0.89		10317		-1340		Yes		RTK		3D		1.4		1106		0.948		0.591		0.63		2.233				WME		Water Meter

		UP1909		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1909		8/14/25 12:07		3730'36.1902"N		794'46.4043"W		0		325650.629		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		4.698		100		-14		7		7.574		-0.886		-51.911		Yes		8/14/25 12:07		GPS SPS VALID		24		1.09		0.61		0.9		11264		-1340		Yes		AUTONOMOUS		3D		0		0		25.118		23.819		22.047		69.232				WME		Water Meter

		UP1910		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1910		8/14/25 12:07		3730'36.2188"N		794'46.4280"W		3.472		325654.101		0		UNKNOWN		49		32768		CLASSIC		OMNI PEAK		140		16.592		100		0		7		36.477		1.906		78.841		Yes		8/14/25 12:07		GPS SPS VALID		24		1.09		0.61		0.9		11288		-1340		Yes		AUTONOMOUS		3D		0		0		25.984		23.819		22.441		70.499				WME		Water Meter

		UP1911		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1911		8/14/25 12:08		3730'36.1891"N		794'46.3939"W		4.075		325658.175		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		3.363		100		0		8		43.451		8.557		62.577		Yes		8/14/25 12:08		GPS SPS VALID		24		1.09		0.61		0.91		11314		-1340		Yes		AUTONOMOUS		3D		0		0		30.315		26.85		24.803		80.992				WME		Water Meter

		UP1912		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		1912		8/14/25 12:09		3730'36.1053"N		794'46.3793"W		8.578		325666.753		0		UNKNOWN		19		32768		CLASSIC		OMNI PEAK		140		13.895		100		19		5		3.982		0.174		-48.136		Yes		8/14/25 12:09		GPS SPS VALID		23		1.17		0.62		0.99		11663		-1340		Yes		AUTONOMOUS		3D		0		0		173.228		138.583		141.732		443.681				WME		Water Meter

		UP1913		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1913		8/14/25 12:09		3730'36.1755"N		794'46.4156"W		7.696		325674.448		0		UNKNOWN		31		32768		CLASSIC		OMNI PEAK		140		5.103		100		-2		3		70.505		27.91		16.596		Yes		8/14/25 12:09		RTK		24		1.62		0.79		1.41		11307		-1340		Yes		RTK		3D		0.8		2454		0.759		0.591		0.472		1.923				WME		Water Meter

		UP1914		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1914		8/14/25 12:13		3730'34.5575"N		794'45.6114"W		176.446		325850.894		0		UNKNOWN		32		32768		CLASSIC		OMNI PEAK		140		93.482		100		-17		9		21.499		-3.337		-77.587		Yes		8/14/25 12:13		RTK		24		1.61		0.8		1.4		11128		-1340		Yes		RTK		3D		0.6		2454		2.362		0.551		0.591		4.851				WME		Water Meter

		UP1915		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1915		8/14/25 12:15		3730'32.5538"N		794'43.1907"W		281.55		326132.444		0		UNKNOWN		16		32768		CLASSIC		OMNI PEAK		140		17.319		100		-2		9		16.311		-2.354		-82.21		Yes		8/14/25 12:15		RTK		24		1.37		0.68		1.19		10919		-1340		Yes		RTK		3D		1.6		2454		0.948		0.672		0.551		2.323				WME		Water Meter

		UP1916		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1916		8/14/25 12:16		3730'31.4033"N		794'40.4853"W		247.034		326379.478		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		3.532		100		-19		6		11.432		-2.307		81.875		Yes		8/14/25 12:16		RTK		24		1.37		0.68		1.19		10914		-1340		Yes		RTK		3D		0.6		2454		1.388		0.759		0.63		3.164				WME		Water Meter

		UP1917		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1917		8/14/25 12:18		3730'29.9025"N		794'37.6630"W		273.443		326652.921		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		4.43		100		-1		11		6.549		2.103		-36.936		Yes		8/14/25 12:18		RTK		23		1.38		0.68		1.2		11005		-1340		Yes		RTK		3D		1.2		2454		0.551		0.394		0.394		1.355				WME		Water Meter

		UP1918		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1918		8/14/25 12:41		3730'15.2241"N		794'2.7376"W		3180.869		329833.79		0		UNKNOWN		36		32768		CLASSIC		OMNI PEAK		140		15.038		100		13		10		10.427		-1.385		32.296		Yes		8/14/25 12:41		RTK		29		1.08		0.57		0.92		10224		-1340		Yes		RTK		3D		1.4		2454		0.85		0.672		0.512		2.168				WME		Water Meter

		UP1919		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1919		8/14/25 12:49		3730'14.1882"N		794'0.6819"W		195.999		330029.789		0		UNKNOWN		49		32768		CLASSIC		OMNI PEAK		140		40.514		100		0		5		10.193		-2.848		65.755		Yes		8/14/25 12:49		RTK		29		1		0.55		0.84		10268		-1340		Yes		RTK		3D		1.2		2454		0.551		0.472		0.394		1.452				WME		Water Meter

		UP1920		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1920		8/14/25 12:57		3730'15.7626"N		794'7.3026"W		556.266		330586.055		0		UNKNOWN		28		32768		CLASSIC		OMNI PEAK		140		6.591		100		0		10		8.151		0.047		-45.362		Yes		8/14/25 12:57		RTK		31		0.99		0.55		0.82		10255		-1340		Yes		RTK		3D		0.6		2454		1.512		0.948		0.669		3.568				WME		Water Meter

		UP1921		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1921		8/14/25 13:02		3730'16.7424"N		794'16.2647"W		728.102		331314.157		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		2.525		100		26		9		6.263		2.036		-67.647		Yes		8/14/25 13:02		RTK		30		0.96		0.53		0.79		10475		-1340		Yes		RTK		3D		1.6		2454		1.05		0.759		0.512		2.59				WME		Water Meter

		UP1922		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1922		8/14/25 13:04		3730'17.7690"N		794'17.9931"W		173.771		331487.927		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.397		100		12		5		11.071		1.229		76.571		Yes		8/14/25 13:04		RTK		31		0.96		0.54		0.79		10558		-1340		Yes		RTK		3D		1.2		2454		0.512		0.433		0.394		1.341				WME		Water Meter

		UP1923		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1923		8/14/25 13:09		3730'18.8025"N		794'20.5781"W		232.969		331720.896		0		UNKNOWN		71		32768		CLASSIC		OMNI PEAK		140		11.739		100		0		6		16.826		-1.397		-13.486		Yes		8/14/25 13:09		RTK		32		0.99		0.55		0.82		10495		-1340		Yes		RTK		3D		1		2454		0.343		0.319		0.394		0.936				WME		Water Meter

		UP1924		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1924		8/14/25 13:10		3730'19.4229"N		794'21.9152"W		124.66		331845.557		0		UNKNOWN		80		32768		CLASSIC		OMNI PEAK		140		18.43		100		-33		4		11.854		-3.649		9.066		Yes		8/14/25 13:10		RTK		31		1.02		0.57		0.84		10418		-1340		Yes		RTK		3D		0.6		2454		0.433		0.394		0.394		1.171				WME		Water Meter

		UP1925		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1925		8/14/25 13:11		3730'21.3153"N		794'25.4678"W		344.391		332189.948		0		UNKNOWN		440		32768		CLASSIC		OMNI PEAK		140		11.184		100		-31		5		7.06		1.718		-4.749		Yes		8/14/25 13:11		RTK		30		1.14		0.62		0.95		10418		-1340		Yes		RTK		3D		0.8		2454		1.913		1.388		0.787		4.728				WME		Water Meter

		UP1926		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1926		8/14/25 13:12		3730'22.1600"N		794'26.9796"W		148.818		332338.766		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		1.692		100		-56		4		6.543		-3.969		24.923		Yes		8/14/25 13:12		RTK		29		1.14		0.62		0.95		10436		-1340		Yes		RTK		3D		1.4		2454		1.388		0.948		0.669		3.362				WME		Water Meter

		UP1927		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1927		8/14/25 13:13		3730'23.0527"N		794'28.6923"W		164.93		332503.696		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.878		100		21		12		8.657		0.42		-40.89		Yes		8/14/25 13:13		RTK		29		1.14		0.62		0.95		10526		-1340		Yes		RTK		3D		1.2		2454		0.472		0.433		0.394		1.282				WME		Water Meter

		UP1928		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1928		8/14/25 13:45		3730'12.6215"N		793'53.0614"W		3056.637		335560.333		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		7.357		100		-63		8		11.748		-3.077		10.203		Yes		8/14/25 13:45		RTK		32		0.98		0.54		0.82		10582		-1340		Yes		RTK		3D		1.6		2454		0.551		0.433		0.394		1.402				WME		Water Meter

		UP1929		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1929		8/14/25 13:45		3730'12.6325"N		793'52.6493"W		33.18		335593.513		0		UNKNOWN		66		32768		CLASSIC		OMNI PEAK		140		7.84		100		-5		11		11.407		2.255		-78.843		Yes		8/14/25 13:45		RTK		32		1.05		0.57		0.89		10564		-1340		Yes		RTK		3D		0.8		2454		0.591		0.472		0.472		1.513				WME		Water Meter

		UP1930		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1930		8/14/25 13:47		3730'12.6393"N		793'51.0297"W		130.353		335723.866		0		UNKNOWN		120		32768		CLASSIC		OMNI PEAK		140		5.855		100		47		9		4.483		-0.77		66.311		Yes		8/14/25 13:47		RTK		32		1.13		0.61		0.95		10504		-1340		Yes		RTK		3D		0.8		2454		0.551		0.394		0.433		1.355				WME		Water Meter

		UP1931		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1931		8/14/25 13:49		3730'12.0882"N		793'47.0592"W		324.407		336048.273		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		2.571		100		-6		11		9.715		0.658		34.99		Yes		8/14/25 13:49		RTK		31		1.07		0.6		0.89		10492		-1340		Yes		RTK		3D		1.2		2454		1.388		0.948		0.748		3.362				WME		Water Meter

		UP1932		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1932		8/14/25 13:50		3730'11.7210"N		793'45.1561"W		157.629		336205.903		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		7.485		100		1		11		6.529		-2.771		-18.508		Yes		8/14/25 13:50		RTK		32		1.13		0.61		0.95		10527		-1340		Yes		RTK		3D		0.8		2454		1.388		1.27		0.827		3.764				WME		Water Meter

		UP1933		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1933		8/14/25 13:51		3730'11.2573"N		793'44.0142"W		103.249		336309.152		0		UNKNOWN		479		32768		CLASSIC		OMNI PEAK		140		4.583		100		32		7		8.253		-1.122		-74.017		Yes		8/14/25 13:51		RTK		32		1.1		0.6		0.92		10522		-1340		Yes		RTK		3D		1.2		2454		0.85		0.672		0.591		2.168				WME		Water Meter

		UP1934		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1934		8/14/25 13:52		3730'11.0083"N		793'42.8336"W		98.319		336407.47		0		UNKNOWN		50		32768		CLASSIC		OMNI PEAK		140		23.539		100		-5		10		6.571		-1.029		42.207		Yes		8/14/25 13:52		RTK		32		1.1		0.6		0.92		10484		-1340		Yes		RTK		3D		1.2		2454		0.591		0.512		0.472		1.563				WME		Water Meter

		UP1935		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1935		8/14/25 13:53		3730'10.3376"N		793'41.6957"W		114.092		336521.562		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		1.94		100		-12		8		4.115		1.116		7.156		Yes		8/14/25 13:53		RTK		32		1.04		0.58		0.86		10417		-1340		Yes		RTK		3D		1		2454		1.388		1.05		0.787		3.481				WME		Water Meter

		UP1936		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1936		8/14/25 13:54		3730'9.8468"N		793'40.8351"W		85.303		336606.866		0		UNKNOWN		47		32768		CLASSIC		OMNI PEAK		140		100		100		4		7		9.301		-1.569		67.731		Yes		8/14/25 13:54		RTK		32		1.04		0.58		0.86		10366		-1340		Yes		RTK		3D		1.2		2454		0.85		0.759		0.63		2.279				WME		Water Meter

		UP1937		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1937		8/14/25 13:55		3730'7.7932"N		793'39.5212"W		233.636		336840.502		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.267		100		-27		10		6.553		-0.578		-81.367		Yes		8/14/25 13:55		RTK		31		1.03		0.58		0.86		10290		-1340		Yes		RTK		3D		0.6		2454		0.948		0.759		0.669		2.427				WME		Water Meter

		UP1938		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1938		8/14/25 13:56		3730'6.1606"N		793'39.3359"W		166.299		337006.801		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		6.646		100		0		10		4.928		1.697		21.609		Yes		8/14/25 13:56		RTK		31		1.08		0.59		0.9		10319		-1340		Yes		RTK		3D		1.2		2454		0.591		0.512		0.472		1.563				WME		Water Meter

		UP1939		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1939		8/14/25 13:57		3730'4.9258"N		793'39.0407"W		127.499		337134.3		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		1.106		100		27		10		12.046		1.64		55.804		Yes		8/14/25 13:57		RTK		31		1.07		0.59		0.89		10328		-1340		Yes		RTK		3D		0.8		2454		0.551		0.512		0.472		1.504				WME		Water Meter

		UP1940		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1940		8/14/25 13:58		3730'2.4011"N		793'38.8235"W		256.733		337391.033		0		UNKNOWN		482		32768		CLASSIC		OMNI PEAK		140		6.575		100		-1		9		9.454		0.05		83.871		Yes		8/14/25 13:58		RTK		32		1.08		0.59		0.9		10309		-1340		Yes		RTK		3D		0.8		2454		1.05		0.672		0.63		2.493				WME		Water Meter

		UP1941		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1941		8/14/25 13:59		3730'0.2283"N		793'39.0509"W		221.189		337612.222		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		4.815		100		-205		11		7.252		2.04		25.925		Yes		8/14/25 13:59		RTK		30		1.07		0.59		0.9		10395		-1340		Yes		RTK		3D		0.6		2454		1.05		0.85		0.748		2.702				WME		Water Meter

		UP1942		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1942		8/14/25 14:01		3729'59.0017"N		793'39.2050"W		125.058		337737.28		0		UNKNOWN		203		32768		CLASSIC		OMNI PEAK		140		25		100		6		8		11.222		1.702		36.535		Yes		8/14/25 14:01		RTK		30		1.07		0.59		0.9		10411		-1340		Yes		RTK		3D		1		2454		1.05		0.759		0.669		2.59				WME		Water Meter

		UP1943		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1943		8/14/25 14:02		3729'57.9300"N		793'39.4059"W		109.916		337847.196		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		1.891		100		-32		7		8.376		-0.393		84.308		Yes		8/14/25 14:02		RTK		32		1.07		0.59		0.9		10405		-1340		Yes		RTK		3D		1		2454		2.058		0.948		0.709		4.531				WME		Water Meter

		UP1944		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1944		8/14/25 14:04		3729'56.0890"N		793'39.5284"W		187.031		338034.227		0		UNKNOWN		80		32768		CLASSIC		OMNI PEAK		140		53.623		100		-10		7		5.476		3.398		35.961		Yes		8/14/25 14:04		RTK		32		1.16		0.61		0.99		10335		-1340		Yes		RTK		3D		0.4		2454		1.157		0.85		0.63		2.873				WME		Water Meter

		UP1945		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1945		8/14/25 14:05		3729'55.4167"N		793'39.6434"W		68.831		338103.058		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		3.899		100		-47		6		5.135		4.47		20.244		Yes		8/14/25 14:05		RTK		32		1.24		0.62		1.08		10300		-1340		Yes		RTK		3D		0.6		2454		1.157		0.948		0.787		2.992				WME		Water Meter

		UP1946		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1946		8/14/25 14:07		3729'52.4478"N		793'40.5757"W		310.398		338413.456		0		UNKNOWN		69		32768		CLASSIC		OMNI PEAK		140		83.654		100		25		5		4.554		-2.263		60.527		Yes		8/14/25 14:07		RTK		32		1.14		0.6		0.97		10256		-1340		Yes		RTK		3D		0.8		2454		0.759		0.759		0.669		2.145				WME		Water Meter

		UP1947		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1947		8/14/25 14:08		3729'51.2758"N		793'40.6667"W		119.129		338532.585		0		UNKNOWN		74		32768		CLASSIC		OMNI PEAK		140		6.932		100		3		8		9.27		1.65		65.543		Yes		8/14/25 14:08		RTK		30		1.14		0.59		0.97		10280		-1340		Yes		RTK		3D		0.6		2454		0.85		0.512		0.551		1.985				WME		Water Meter

		UP1948		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1948		8/14/25 14:09		3729'50.0383"N		793'40.5882"W		125.701		338658.285		0		UNKNOWN		271		32768		CLASSIC		OMNI PEAK		140		10.784		100		-34		6		11.784		-1.067		-1.134		Yes		8/14/25 14:09		RTK		31		1.14		0.59		0.97		10229		-1340		Yes		RTK		3D		1.8		2454		0.672		0.551		0.551		1.738				WME		Water Meter

		UP1949		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1949		8/14/25 14:10		3729'49.1837"N		793'40.4515"W		87.396		338745.681		0		UNKNOWN		74		32768		CLASSIC		OMNI PEAK		140		8.981		100		-1		12		5.31		2.524		26.402		Yes		8/14/25 14:10		RTK		31		1.14		0.59		0.97		10175		-1340		Yes		RTK		3D		0.4		2454		1.913		1.27		0.945		4.593				WME		Water Meter

		UP1950		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1950		8/14/25 14:13		3729'48.4296"N		793'40.1084"W		81.336		338827.017		0		UNKNOWN		100		32768		CLASSIC		OMNI PEAK		140		23.607		100		5		7		8.412		-1.815		62.085		Yes		8/14/25 14:13		RTK		29		1.22		0.6		1.07		10100		-1340		Yes		RTK		3D		1		2454		0.386		0.374		0.394		1.075				WME		Water Meter

		UP1951		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1951		8/14/25 14:14		3729'47.2043"N		793'38.9934"W		153.319		338980.336		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		1.709		100		-1		11		9.392		-3.055		-75.504		Yes		8/14/25 14:14		RTK		31		1.23		0.6		1.07		9990		-1340		Yes		RTK		3D		0.4		2454		1.512		0.512		0.591		3.192				WME		Water Meter

		UP1952		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1952		8/14/25 14:17		3729'45.6762"N		793'37.2511"W		209.047		339189.383		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.421		100		-8		11		9.811		0.33		76.002		Yes		8/14/25 14:17		RTK		31		1.23		0.6		1.08		9958		-1340		Yes		RTK		3D		0.8		2454		0.759		0.672		0.669		2.027				WME		Water Meter

		UP1953		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1953		8/14/25 14:22		3729'44.6591"N		793'35.6514"W		165.006		339354.389		0		UNKNOWN		165		32768		CLASSIC		OMNI PEAK		140		3.454		100		5		8		12.892		-1.371		-4.27		Yes		8/14/25 14:22		RTK		31		1.24		0.6		1.08		9796		-1340		Yes		RTK		3D		0.6		2454		1.64		1.05		0.827		3.895				WME		Water Meter

		UP1954		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1954		8/14/25 14:31		3729'58.1523"N		793'38.6373"W		1389.829		340744.219		0		UNKNOWN		151		32768		CLASSIC		OMNI PEAK		140		10.7		100		21		6		9.53		1.953		-84.903		Yes		8/14/25 14:31		RTK		28		1.22		0.62		1.05		10403		-1340		Yes		RTK		3D		0.4		2454		1.27		0.551		0.591		2.77				WME		Water Meter

		UP1955		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1955		8/14/25 14:32		3729'59.6828"N		793'38.4997"W		155.664		340899.883		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		1.276		100		3		13		8.109		1.814		6.516		Yes		8/14/25 14:32		RTK		28		1.22		0.62		1.05		10400		-1340		Yes		RTK		3D		0.8		2454		0.948		0.551		0.63		2.192				WME		Water Meter

		UP1956		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1956		8/14/25 14:37		3730'7.7396"N		793'38.9408"W		818.139		341718.023		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		2.14		100		2		11		10.515		-0.747		-73.716		Yes		8/14/25 14:37		RTK		28		1.22		0.62		1.05		10313		-1340		Yes		RTK		3D		0.6		2454		0.672		0.433		0.512		1.599				WME		Water Meter

		UP1957		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1957		8/14/25 14:37		3730'7.7803"N		793'38.9414"W		4.121		341722.143		0		UNKNOWN		15		32768		CLASSIC		OMNI PEAK		140		19.025		100		-4		13		10.04		-1.071		-20.719		Yes		8/14/25 14:37		RTK		29		1.22		0.62		1.05		10309		-1340		Yes		RTK		3D		1.6		2454		1.27		0.85		0.669		3.057				WME		Water Meter

		UP1958		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1958		8/14/25 14:37		3730'8.3334"N		793'38.9815"W		56.211		341778.354		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.683		100		-1		8		12.365		-0.603		-87.565		Yes		8/14/25 14:37		RTK		28		1.34		0.68		1.15		10326		-1340		Yes		RTK		3D		1.2		2454		1.05		0.512		0.591		2.336				WME		Water Meter

		UP1959		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1959		8/14/25 14:38		3730'8.9912"N		793'39.3875"W		74.303		341852.658		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		1.337		100		-60		6		9.992		2.362		-41.439		Yes		8/14/25 14:38		RTK		29		1.34		0.68		1.16		10317		-1340		Yes		RTK		3D		1.2		2454		0.85		0.512		0.591		1.985				WME		Water Meter

		UP1960		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1960		8/14/25 14:40		3730'11.3532"N		793'41.8932"W		313.193		342165.851		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.071		100		29		6		12.188		1.534		-19.693		Yes		8/14/25 14:40		FLOAT RTK		29		1.34		0.68		1.16		10471		-1340		Yes		FLOAT RTK		3D		1		2454		5.154		3.129		0.63		12.058				WME		Water Meter

		UP1961		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1961		8/14/25 14:40		3730'11.3399"N		793'41.8685"W		2.405		342168.256		0		UNKNOWN		16		32768		CLASSIC		OMNI PEAK		140		13.893		100		-3		13		11.618		1.106		2.804		Yes		8/14/25 14:40		FLOAT RTK		30		1.34		0.68		1.16		10471		-1340		Yes		FLOAT RTK		3D		1.6		2454		5.706		2.577		0.669		12.521				WME		Water Meter

		UP1962		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1962		8/14/25 14:40		3730'11.3290"N		793'41.8268"W		3.527		342171.783		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.333		100		-7		13		10.834		5.34		72.518		Yes		8/14/25 14:40		FLOAT RTK		29		1.34		0.68		1.16		10463		-1340		Yes		FLOAT RTK		3D		0.8		2454		4.969		3.313		0.709		11.945				WME		Water Meter

		UP1963		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1963		8/14/25 14:40		3730'11.3387"N		793'41.8022"W		2.211		342173.994		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.813		100		10		11		11.359		2.853		-78.977		Yes		8/14/25 14:40		RTK		30		1.34		0.68		1.16		10490		-1340		Yes		RTK		3D		1		2454		2.207		1.05		0.945		4.889				WME		Water Meter

		UP1964		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1964		8/14/25 14:40		3730'11.3430"N		793'41.7802"W		1.823		342175.817		0		UNKNOWN		21		32768		CLASSIC		OMNI PEAK		140		7.372		100		7		10		14.322		-0.223		-13.092		Yes		8/14/25 14:40		RTK		30		1.34		0.68		1.16		10487		-1340		Yes		RTK		3D		1.2		2454		2.522		1.388		0.984		5.758				WME		Water Meter

		UP1965		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1965		8/14/25 14:40		3730'11.3297"N		793'41.7657"W		1.788		342177.605		0		UNKNOWN		37		32768		CLASSIC		OMNI PEAK		140		5.018		100		-9		12		11.029		2.253		52.922		Yes		8/14/25 14:40		RTK		30		1.34		0.68		1.16		10488		-1340		Yes		RTK		3D		1.2		2454		0.759		0.472		0.591		1.787				WME		Water Meter

		UP1966		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1966		8/14/25 14:40		3730'11.3216"N		793'41.7482"W		1.632		342179.237		0		UNKNOWN		465		32768		CLASSIC		OMNI PEAK		140		3.352		100		86		5		14.475		2.779		-19.013		Yes		8/14/25 14:41		RTK		30		1.34		0.68		1.16		10485		-1340		Yes		RTK		3D		2.2		2454		0.512		0.433		0.394		1.341				WME		Water Meter

		UP1967		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1967		8/14/25 14:41		3730'11.3119"N		793'41.7300"W		1.767		342181.004		0		UNKNOWN		21		32768		CLASSIC		OMNI PEAK		140		12.298		100		1		6		14.75		-0.505		-50.781		Yes		8/14/25 14:41		RTK		30		1.34		0.68		1.16		10481		-1340		Yes		RTK		3D		1		2454		0.759		0.433		0.472		1.747				WME		Water Meter

		UP1968		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1968		8/14/25 14:43		3730'10.3498"N		793'40.5259"W		137.543		342318.547		0		UNKNOWN		2371		32768		CLASSIC		OMNI PEAK		140		4.464		100		-11		9		6.887		-0.64		-51.09		Yes		8/14/25 14:43		FLOAT RTK		31		1.49		0.71		1.31		10389		-1340		Yes		FLOAT RTK		3D		0.6		2454		3.497		2.577		0.63		8.688				WME		Water Meter

		UP1969		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1969		8/14/25 15:19		3729'13.3557"N		793'20.0889"W		0		342318.547		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		4.27		100		-2		11		8.897		1.791		38.842		Yes		8/14/25 15:19		RTK		32		1.31		0.62		1.15		10122		-1340		Yes		RTK		3D		1.2		2683		0.948		0.433		0.551		2.084				WME		Water Meter

		UP1970		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1970		8/14/25 15:33		3729'19.6838"N		793'30.0567"W		1027.613		343346.161		0		UNKNOWN		1267		32768		CLASSIC		OMNI PEAK		140		23.954		100		61		7		6.318		-1.183		37.935		Yes		8/14/25 15:33		RTK		32		1.56		0.7		1.4		9933		-1340		Yes		RTK		3D		0.8		2683		1.388		0.672		0.787		3.085				WME		Water Meter

		UP1971		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1971		8/14/25 15:35		3729'20.7926"N		793'29.5327"W		120.139		343466.3		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		5.444		100		16		12		10.884		-0.93		-63.373		Yes		8/14/25 15:35		RTK		32		1.44		0.67		1.28		9953		-1340		Yes		RTK		3D		1		2683		0.512		0.37		0.433		1.263				WME		Water Meter

		UP1972		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1972		8/14/25 15:36		3729'22.1737"N		793'29.9574"W		144.226		343610.526		0		UNKNOWN		41		32768		CLASSIC		OMNI PEAK		140		21.968		100		-14		9		10.757		-0.014		55.471		Yes		8/14/25 15:36		RTK		32		1.42		0.66		1.26		9904		-1340		Yes		RTK		3D		0.4		2683		1.913		1.157		0.906		4.472				WME		Water Meter

		UP1973		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1973		8/14/25 15:40		3729'21.0939"N		793'32.2430"W		214.129		343824.655		0		UNKNOWN		69		32768		CLASSIC		OMNI PEAK		140		17.861		100		1		12		10.623		-1.739		41.735		Yes		8/14/25 15:40		RTK		32		1.38		0.66		1.21		9757		-1340		Yes		RTK		3D		1.8		2683		0.759		0.433		0.512		1.747				WME		Water Meter

		UP1974		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1974		8/14/25 15:41		3729'20.5757"N		793'33.9180"W		144.723		343969.379		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		2.552		100		1		11		9.827		1.395		-59.138		Yes		8/14/25 15:41		RTK		32		1.37		0.66		1.2		9693		-1340		Yes		RTK		3D		0.6		2683		0.948		0.472		0.551		2.118				WME		Water Meter

		UP1975		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1975		8/14/25 15:43		3729'20.4030"N		793'35.2620"W		109.595		344078.974		0		UNKNOWN		38		32768		CLASSIC		OMNI PEAK		140		77.744		100		-27		5		12.54		1.351		-67.558		Yes		8/14/25 15:43		RTK		32		1.35		0.66		1.18		9637		-1340		Yes		RTK		3D		1.2		2683		1.388		0.551		0.63		2.988				WME		Water Meter

		UP1976		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1976		8/14/25 17:15		3729'20.0686"N		793'38.5117"W		263.782		344342.756		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		1.854		100		-6		11		18.948		-4.579		-1.307		Yes		8/14/25 17:15		RTK		32		1.17		0.59		1.02		9672		-1340		Yes		RTK		3D		0.6		2718		0.433		0.374		0.394		1.144				WME		Water Meter

		UP1977		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1977		8/14/25 17:19		3729'19.6296"N		793'40.8429"W		192.871		344535.627		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		9.933		100		2		10		10.538		-0.762		-77.576		Yes		8/14/25 17:19		RTK		32		1.25		0.63		1.08		9502		-1340		Yes		RTK		3D		1		2718		0.591		0.433		0.551		1.465				WME		Water Meter

		UP1978		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1978		8/14/25 17:21		3729'19.2498"N		793'43.4014"W		209.532		344745.159		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		3.481		100		14		10		14.888		1.123		-64.361		Yes		8/14/25 17:21		RTK		32		1.32		0.62		1.16		9374		-1340		Yes		RTK		3D		1		2718		0.591		0.512		0.591		1.563				WME		Water Meter

		UP1979		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1979		8/14/25 17:27		3729'18.5357"N		793'46.4626"W		256.849		345002.008		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		1.936		100		52		7		7.351		-2.397		83.006		Yes		8/14/25 17:27		RTK		31		1.28		0.62		1.11		9317		-1340		Yes		RTK		3D		1		2718		1.774		1.388		0.945		4.506				WME		Water Meter

		UP1980		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1980		8/14/25 17:27		3729'18.6221"N		793'46.4061"W		9.871		345011.879		0		UNKNOWN		285		32768		CLASSIC		OMNI PEAK		140		3.12		100		-45		6		12.454		-3.524		59.604		Yes		8/14/25 17:27		RTK		31		1.33		0.64		1.16		9333		-1340		Yes		RTK		3D		0.6		2718		0.362		0.327		0.394		0.976				WME		Water Meter

		UP1981		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1981		8/14/25 17:31		3729'19.6268"N		793'46.0287"W		106.357		345118.236		0		UNKNOWN		1995		32768		CLASSIC		OMNI PEAK		140		2.989		100		-24		11		6.027		-1.031		-75.001		Yes		8/14/25 17:31		RTK		32		1.41		0.65		1.26		9338		-1340		Yes		RTK		3D		0.8		2718		0.472		0.354		0.433		1.181				WME		Water Meter

		UP1982		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1982		8/14/25 17:38		3729'19.6427"N		793'44.7590"W		102.227		345220.463		0		UNKNOWN		23		32768		CLASSIC		OMNI PEAK		140		29.058		100		2		7		9.216		-2.027		79.925		Yes		8/14/25 17:38		RTK		32		1.14		0.57		0.99		9318		-1340		Yes		RTK		3D		1		2718		0.512		0.472		0.472		1.393				WME		Water Meter

		UP1983		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1983		8/14/25 17:40		3729'20.1981"N		793'42.6287"W		180.497		345400.96		0		UNKNOWN		94		32768		CLASSIC		OMNI PEAK		140		42.578		100		49		4		8.144		1.87		-82.034		Yes		8/14/25 17:40		RTK		32		1.24		0.62		1.07		9348		-1340		Yes		RTK		3D		0.6		2718		0.591		0.433		0.472		1.465				WME		Water Meter

		UP1984		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1984		8/14/25 17:41		3729'20.6348"N		793'40.3158"W		191.384		345592.344		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		2.582		100		170		3		14.835		-5.018		18.507		Yes		8/14/25 17:41		RTK		32		1.14		0.57		0.98		9535		-1340		Yes		RTK		3D		0.6		2718		0.85		0.672		0.591		2.168				WME		Water Meter

		UP1985		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1985		8/14/25 17:43		3729'20.8129"N		793'39.2449"W		88.08		345680.424		0		UNKNOWN		7727		32768		CLASSIC		OMNI PEAK		140		7.685		100		37		7		6.409		-0.619		-88.968		Yes		8/14/25 17:43		RTK		32		1.12		0.56		0.97		9572		-1340		Yes		RTK		3D		0.8		2718		0.591		0.551		0.512		1.616				WME		Water Meter

		UP1986		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1986		8/14/25 17:49		3729'21.4962"N		793'33.0623"W		502.488		346182.912		0		UNKNOWN		35		32768		CLASSIC		OMNI PEAK		140		15.72		100		0		10		10.894		3.384		45.075		Yes		8/14/25 17:49		RTK		32		1.31		0.62		1.15		9685		-1340		Yes		RTK		3D		0.6		2718		1.388		0.948		0.748		3.362				WME		Water Meter

		UP1987		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1987		8/18/25 7:20		3725'51.9239"N		797'23.0529"W		0		346182.912		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		7.659		100		36		7		16.76		4.781		-80.187		Yes		8/18/25 7:20		RTK		26		1.34		0.66		1.16		9296		-1339		Yes		RTK		3D		1.2		110		1.05		0.591		0.709		2.409				WME		Water Meter

		UP1988		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1988		8/18/25 7:21		3725'52.0844"N		797'23.4678"W		37.18		346220.091		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.735		100		-138		11		5.333		-1.261		-33.857		Yes		8/18/25 7:21		RTK		30		1.22		0.63		1.04		9301		-1339		Yes		RTK		3D		1		110		1.388		0.85		0.787		3.256				WME		Water Meter

		UP1989		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1989		8/18/25 7:25		3725'51.3448"N		797'21.8975"W		147.078		346367.169		0		UNKNOWN		34		32768		CLASSIC		OMNI PEAK		140		52.809		100		-11		3		15.775		0.592		58.723		Yes		8/18/25 7:25		RTK		31		1.19		0.62		1.02		9312		-1339		Yes		RTK		3D		1.4		110		0.591		0.394		0.512		1.42				WME		Water Meter

		UP1990		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1990		8/18/25 7:26		3725'51.2221"N		797'21.8288"W		13.622		346380.791		0		UNKNOWN		247		32768		CLASSIC		OMNI PEAK		140		18.959		100		-23		6		11.028		0.007		-69.21		Yes		8/18/25 7:26		RTK		31		1.12		0.58		0.95		9309		-1339		Yes		RTK		3D		1		110		0.472		0.315		0.394		1.136				WME		Water Meter

		UP1991		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1991		8/18/25 7:26		3725'50.7151"N		797'20.8449"W		94.489		346475.28		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		2.746		100		0		7		15.351		-0.143		-11.408		Yes		8/18/25 7:26		RTK		31		1.12		0.58		0.95		9298		-1339		Yes		RTK		3D		3.2		110		1.05		0.512		0.551		2.336				WME		Water Meter

		UP1992		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1992		8/18/25 7:27		3725'50.1705"N		797'19.9325"W		91.954		346567.234		0		UNKNOWN		63		32768		CLASSIC		OMNI PEAK		140		30.841		100		-30		2		18.64		0.623		-43.192		Yes		8/18/25 7:27		RTK		31		1.19		0.62		1.01		9282		-1339		Yes		RTK		3D		2.2		110		1.512		0.672		0.709		3.309				WME		Water Meter

		UP1993		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1993		8/18/25 7:28		3725'49.7904"N		797'19.4964"W		52.167		346619.401		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.009		100		8		6		7.803		-1.605		-87.779		Yes		8/18/25 7:28		RTK		32		1.15		0.61		0.98		9262		-1339		Yes		RTK		3D		1.8		110		1.05		0.512		0.551		2.336				WME		Water Meter

		UP1994		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1994		8/18/25 7:29		3725'49.2662"N		797'18.3896"W		103.815		346723.216		0		UNKNOWN		40		32768		CLASSIC		OMNI PEAK		140		100		100		6		1		6.505		-3.028		-16.018		Yes		8/18/25 7:29		RTK		32		1.23		0.64		1.04		9218		-1339		Yes		RTK		3D		1.4		110		1.05		0.672		0.709		2.493				WME		Water Meter

		UP1995		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1995		8/18/25 7:31		3725'47.1999"N		797'20.8493"W		288.463		347011.679		0		UNKNOWN		29		32768		CLASSIC		OMNI PEAK		140		10.183		100		0		7		14.276		-5.458		29.468		Yes		8/18/25 7:31		RTK		32		1.09		0.6		0.91		9022		-1339		Yes		RTK		3D		1.6		110		1.27		0.591		0.63		2.802				WME		Water Meter

		UP1996		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1996		8/18/25 7:31		3725'47.0356"N		797'20.4752"W		34.442		347046.121		0		UNKNOWN		16		32768		CLASSIC		OMNI PEAK		140		43.012		100		3		6		8.709		-1.613		-86.158		Yes		8/18/25 7:31		RTK		32		1.09		0.6		0.91		9027		-1339		Yes		RTK		3D		1		110		2.688		0.948		0.866		5.7				WME		Water Meter

		UP1997		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1997		8/18/25 7:31		3725'46.6791"N		797'20.7328"W		41.707		347087.828		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		16.617		100		-2		13		11		1.692		-58.382		Yes		8/18/25 7:31		RTK		32		1.1		0.61		0.91		8994		-1339		Yes		RTK		3D		0.8		110		1.388		0.672		0.709		3.085				WME		Water Meter

		UP1998		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1998		8/18/25 7:33		3725'49.2853"N		797'17.7548"W		357.024		347444.852		0		UNKNOWN		61		32768		CLASSIC		OMNI PEAK		140		12.828		100		6		12		14.601		-2.27		-29.927		Yes		8/18/25 7:33		RTK		32		1.05		0.59		0.87		9218		-1339		Yes		RTK		3D		1.4		110		1.05		0.512		0.551		2.336				WME		Water Meter

		UP1999		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		1999		8/18/25 7:33		3725'49.2761"N		797'17.7393"W		1.562		347446.415		0		UNKNOWN		59		32768		CLASSIC		OMNI PEAK		140		15.209		100		-76		9		10.776		0.624		-71.78		Yes		8/18/25 7:33		RTK		32		1.05		0.59		0.87		9216		-1339		Yes		RTK		3D		4.6		110		1.388		0.551		0.551		2.988				WME		Water Meter

		UP2000		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2000		8/18/25 7:34		3725'48.5391"N		797'17.1401"W		88.998		347535.413		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.015		100		-42		6		14.639		0.328		-65.972		Yes		8/18/25 7:34		RTK		30		1.09		0.61		0.91		9176		-1339		Yes		RTK		3D		1.2		110		1.05		0.512		0.591		2.336				WME		Water Meter

		UP2001		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2001		8/18/25 7:34		3725'48.7666"N		797'16.7726"W		37.538		347572.951		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.655		100		-43		7		13.612		3.732		-52.403		Yes		8/18/25 7:34		RTK		31		1.08		0.63		0.88		9192		-1339		Yes		RTK		3D		1.2		110		2.058		1.05		0.787		4.62				WME		Water Meter

		UP2002		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2002		8/18/25 7:35		3725'48.1150"N		797'16.4801"W		70.184		347643.135		0		UNKNOWN		46		32768		CLASSIC		OMNI PEAK		140		21.624		100		-9		10		15.2		-3.255		-3.429		Yes		8/18/25 7:35		RTK		32		1.05		0.59		0.87		9159		-1339		Yes		RTK		3D		1		110		0.551		0.319		0.394		1.274				WME		Water Meter

		UP2003		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2003		8/18/25 7:36		3725'47.4865"N		797'15.8276"W		82.632		347725.767		0		UNKNOWN		119		32768		CLASSIC		OMNI PEAK		140		11.447		100		3		9		10.702		0.048		-0.377		Yes		8/18/25 7:36		RTK		32		1		0.55		0.83		9135		-1339		Yes		RTK		3D		2		110		2.522		0.948		0.827		5.389				WME		Water Meter

		UP2004		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2004		8/18/25 7:36		3725'47.4934"N		797'15.2821"W		43.946		347769.713		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		4.061		100		18		8		7.202		-4.993		22.467		Yes		8/18/25 7:36		RTK		32		1		0.55		0.83		9153		-1339		Yes		RTK		3D		0.8		110		0.85		0.472		0.551		1.946				WME		Water Meter

		UP2005		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2005		8/18/25 7:38		3725'45.3111"N		797'16.9337"W		258.294		348028.008		0		UNKNOWN		19		32768		CLASSIC		OMNI PEAK		140		40.573		100		40		6		5.34		-5.248		-70.268		Yes		8/18/25 7:38		RTK		32		1.06		0.58		0.88		8957		-1339		Yes		RTK		3D		2.8		110		2.207		0.948		0.787		4.804				WME		Water Meter

		UP2006		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2006		8/18/25 7:38		3725'45.1633"N		797'16.5249"W		36.185		348064.192		0		UNKNOWN		286		32768		CLASSIC		OMNI PEAK		140		14.435		100		0		13		10.07		-6.004		-22.422		Yes		8/18/25 7:38		RTK		32		1		0.55		0.83		8935		-1339		Yes		RTK		3D		0.6		110		0.948		0.472		0.472		2.118				WME		Water Meter

		UP2007		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2007		8/18/25 7:38		3725'44.9917"N		797'17.1229"W		51.23		348115.423		0		UNKNOWN		317		32768		CLASSIC		OMNI PEAK		140		5.282		100		1		11		10.442		-3.667		-3.272		Yes		8/18/25 7:38		RTK		32		1		0.55		0.83		8915		-1339		Yes		RTK		3D		2		110		0.759		0.472		0.472		1.787				WME		Water Meter

		UP2008		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2008		8/18/25 7:39		3725'44.4556"N		797'17.0464"W		54.733		348170.155		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.016		100		37		9		5.498		1.248		-79.093		Yes		8/18/25 7:39		RTK		32		1		0.55		0.83		8879		-1339		Yes		RTK		3D		1.8		110		1.774		0.672		0.669		3.794				WME		Water Meter

		UP2009		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2009		8/18/25 7:39		3725'44.3622"N		797'17.6496"W		49.514		348219.669		0		UNKNOWN		26		32768		CLASSIC		OMNI PEAK		140		100		100		3		1		10.866		-0.593		86.811		Yes		8/18/25 7:39		RTK		32		1.05		0.57		0.88		8857		-1339		Yes		RTK		3D		0.6		110		0.672		0.433		0.394		1.599				WME		Water Meter

		UP2010		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2010		8/18/25 7:39		3725'43.9169"N		797'17.9871"W		52.723		348272.392		0		UNKNOWN		21		32768		CLASSIC		OMNI PEAK		140		100		100		-5		9		9.953		-9.459		-35.458		Yes		8/18/25 7:39		RTK		32		1		0.55		0.83		8833		-1339		Yes		RTK		3D		2		110		0.512		0.343		0.394		1.232				WME		Water Meter

		UP2011		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2011		8/18/25 7:39		3725'43.7933"N		797'18.0971"W		15.358		348287.75		0		UNKNOWN		44		32768		CLASSIC		OMNI PEAK		140		39.241		100		-6		8		9.725		-2.097		51.786		Yes		8/18/25 7:40		RTK		32		1.05		0.59		0.87		8818		-1339		Yes		RTK		3D		1.2		110		1.388		0.551		0.551		2.988				WME		Water Meter

		UP2012		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2012		8/18/25 7:40		3725'43.3750"N		797'18.4502"W		51.089		348338.839		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		1.311		100		-6		9		6.557		-3.124		-25.581		Yes		8/18/25 7:40		RTK		31		1.08		0.59		0.91		8785		-1339		Yes		RTK		3D		1.8		110		2.207		0.759		0.63		4.668				WME		Water Meter

		UP2013		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2013		8/18/25 7:41		3725'43.4844"N		797'17.6298"W		67.019		348405.858		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		1.202		100		-4		10		6.031		-1.968		-58.807		Yes		8/18/25 7:41		RTK		32		1.05		0.59		0.86		8851		-1339		Yes		RTK		3D		1.8		110		1.05		0.551		0.512		2.372				WME		Water Meter

		UP2014		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2014		8/18/25 7:41		3725'43.4690"N		797'17.6387"W		1.721		348407.579		0		UNKNOWN		67		32768		CLASSIC		OMNI PEAK		140		15.66		100		-14		13		9.253		-1.372		-85.484		Yes		8/18/25 7:41		RTK		32		1.1		0.62		0.91		8849		-1339		Yes		RTK		3D		2.6		110		1.27		0.512		0.512		2.739				WME		Water Meter

		UP2015		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2015		8/18/25 7:41		3725'43.4654"N		797'17.6594"W		1.709		348409.288		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		4.726		100		6		9		7.51		0.335		-78.665		Yes		8/18/25 7:41		RTK		32		1.07		0.6		0.89		8847		-1339		Yes		RTK		3D		5.4		110		2.522		0.759		0.709		5.268				WME		Water Meter

		UP2016		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2016		8/18/25 7:41		3725'43.4525"N		797'17.6677"W		1.467		348410.755		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.117		100		-1		6		9.679		-0.747		-10.19		Yes		8/18/25 7:41		RTK		32		1.1		0.62		0.91		8848		-1339		Yes		RTK		3D		1.4		110		1.512		0.512		0.591		3.192				WME		Water Meter

		UP2017		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2017		8/18/25 7:42		3725'42.7484"N		797'18.2868"W		87.125		348497.88		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		3.923		100		-47		5		10.698		1.521		-28.623		Yes		8/18/25 7:42		RTK		32		1.07		0.6		0.88		8774		-1339		Yes		RTK		3D		1.2		110		3.034		1.05		0.906		6.421				WME		Water Meter

		UP2018		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2018		8/18/25 7:42		3725'42.7368"N		797'18.2958"W		1.379		348499.259		0		UNKNOWN		61		32768		CLASSIC		OMNI PEAK		140		16.292		100		-13		7		11.389		-0.617		-3.332		Yes		8/18/25 7:42		RTK		32		1.05		0.59		0.86		8774		-1339		Yes		RTK		3D		3.4		110		2.522		0.759		0.709		5.268				WME		Water Meter

		UP2019		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2019		8/18/25 7:44		3725'42.9199"N		797'19.6846"W		113.418		348612.677		0		UNKNOWN		14		32768		CLASSIC		OMNI PEAK		140		38.441		100		0		9		10.848		0.015		1.044		Yes		8/18/25 7:44		FLOAT RTK		31		1.12		0.6		0.95		8701		-1339		Yes		FLOAT RTK		3D		0.8		110		4.969		3.865		0.709		12.591				WME		Water Meter

		UP2020		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2020		8/18/25 7:47		3725'46.8628"N		797'14.9484"W		552.807		349165.484		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.805		100		30		5		6.292		-0.581		-30.147		Yes		8/18/25 7:47		RTK		31		1.04		0.57		0.87		9129		-1339		Yes		RTK		3D		0.6		110		1.157		0.591		0.591		2.599				WME		Water Meter

		UP2021		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2021		8/18/25 7:47		3725'47.0626"N		797'14.6869"W		29.232		349194.716		0		UNKNOWN		19		32768		CLASSIC		OMNI PEAK		140		67.487		100		3		7		17.106		0.995		-10.08		Yes		8/18/25 7:47		RTK		31		1.04		0.57		0.87		9144		-1339		Yes		RTK		3D		1.4		110		0.551		0.394		0.394		1.355				WME		Water Meter

		UP2022		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2022		8/18/25 7:47		3725'46.4882"N		797'14.3204"W		65.322		349260.038		0		UNKNOWN		38		32768		CLASSIC		OMNI PEAK		140		66.919		100		2		5		23.703		-3.676		0.697		Yes		8/18/25 7:47		RTK		31		1.04		0.57		0.87		9104		-1339		Yes		RTK		3D		1.4		110		0.672		0.37		0.394		1.534				WME		Water Meter

		UP2023		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2023		8/18/25 7:48		3725'46.6913"N		797'14.1054"W		26.918		349286.955		0		UNKNOWN		34		32768		CLASSIC		OMNI PEAK		140		87.658		100		2		3		18.589		0.682		-36.767		Yes		8/18/25 7:48		RTK		32		1.04		0.57		0.87		9113		-1339		Yes		RTK		3D		1		110		0.85		0.551		0.512		2.027				WME		Water Meter

		UP2024		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2024		8/18/25 7:49		3725'44.9950"N		797'11.4130"W		276.885		349563.84		0		UNKNOWN		141		32768		CLASSIC		OMNI PEAK		140		6.648		100		-1		13		6.643		0.861		88.333		Yes		8/18/25 7:49		RTK		32		1.04		0.57		0.87		9088		-1339		Yes		RTK		3D		1.8		110		4.412		1.913		1.024		9.618				WME		Water Meter

		UP2025		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2025		8/18/25 7:49		3725'44.8676"N		797'11.6311"W		21.816		349585.657		0		UNKNOWN		26		32768		CLASSIC		OMNI PEAK		140		21.358		100		-2		10		9.315		-0.172		8.232		Yes		8/18/25 7:49		RTK		32		1.04		0.57		0.87		9079		-1339		Yes		RTK		3D		1.2		110		2.522		0.948		0.787		5.389				WME		Water Meter

		UP2026		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2026		8/18/25 7:53		3725'43.8747"N		797'9.0240"W		232.941		349818.598		0		UNKNOWN		40		32768		CLASSIC		OMNI PEAK		140		19.072		100		0		7		5.621		-3.296		16.525		Yes		8/18/25 7:53		RTK		32		1.13		0.62		0.94		9154		-1339		Yes		RTK		3D		1.6		110		0.672		0.374		0.394		1.538				WME		Water Meter

		UP2027		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2027		8/18/25 7:55		3725'41.8837"N		797'7.1982"W		249.867		350068.465		0		UNKNOWN		22		32768		CLASSIC		OMNI PEAK		140		8.887		100		1		10		12.262		-0.143		-34.264		Yes		8/18/25 7:55		RTK		32		1.09		0.59		0.92		9080		-1339		Yes		RTK		3D		0.8		110		1.27		0.591		0.551		2.802				WME		Water Meter

		UP2028		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2028		8/18/25 8:01		3725'51.3270"N		797'17.9455"W		1291.298		351359.763		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		3.049		100		0		13		6.448		-0.955		-5.832		Yes		8/18/25 8:01		RTK		32		1.11		0.59		0.93		9388		-1339		Yes		RTK		3D		0.6		110		1.512		0.551		0.669		3.218				WME		Water Meter

		UP2029		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2029		8/18/25 8:02		3725'51.2795"N		797'17.1038"W		67.979		351427.742		0		UNKNOWN		22		32768		CLASSIC		OMNI PEAK		140		100		100		6		7		10.121		2.017		86.224		Yes		8/18/25 8:02		RTK		31		1.08		0.6		0.9		9372		-1339		Yes		RTK		3D		1.2		110		1.27		0.472		0.472		2.711				WME		Water Meter

		UP2030		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2030		8/18/25 8:02		3725'51.6707"N		797'16.8757"W		43.734		351471.476		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		1.188		100		18		3		19.332		-4.324		0.892		Yes		8/18/25 8:02		RTK		32		1.04		0.56		0.87		9405		-1339		Yes		RTK		3D		1		110		0.672		0.394		0.394		1.558				WME		Water Meter

		UP2031		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2031		8/18/25 8:03		3725'51.6988"N		797'14.7258"W		173.222		351644.698		0		UNKNOWN		14		32768		CLASSIC		OMNI PEAK		140		100		100		4		12		12.295		1.302		61.159		Yes		8/18/25 8:03		RTK		32		1.04		0.57		0.87		9403		-1339		Yes		RTK		3D		1.6		110		0.759		0.433		0.433		1.747				WME		Water Meter

		UP2032		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2032		8/18/25 8:03		3725'51.9377"N		797'14.6040"W		26.15		351670.847		0		UNKNOWN		105		32768		CLASSIC		OMNI PEAK		140		12.119		100		0		11		21.344		-2.789		89.265		Yes		8/18/25 8:03		RTK		32		1.08		0.58		0.91		9411		-1339		Yes		RTK		3D		1.6		110		0.672		0.394		0.433		1.558				WME		Water Meter

		UP2033		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2033		8/18/25 8:04		3725'51.2670"N		797'13.5627"W		108.014		351778.861		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.08		100		-2		5		7.355		1.455		5.776		Yes		8/18/25 8:04		RTK		32		1.04		0.56		0.87		9384		-1339		Yes		RTK		3D		1.4		110		1.27		0.512		0.551		2.739				WME		Water Meter

		UP2034		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2034		8/18/25 8:04		3725'51.5099"N		797'13.2855"W		33.246		351812.107		0		UNKNOWN		9		32768		CLASSIC		OMNI PEAK		140		46.106		100		3		10		13.19		-2.901		-68.161		Yes		8/18/25 8:04		RTK		32		1.08		0.6		0.9		9394		-1339		Yes		RTK		3D		1.4		110		1.913		0.591		0.63		4.005				WME		Water Meter

		UP2035		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2035		8/18/25 8:04		3725'51.1781"N		797'13.0809"W		37.48		351849.587		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		100		100		-2		5		7.556		2.121		4.92		Yes		8/18/25 8:04		RTK		32		1.04		0.56		0.87		9385		-1339		Yes		RTK		3D		1.2		110		2.522		1.157		0.787		5.55				WME		Water Meter

		UP2036		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2036		8/18/25 8:05		3725'51.1871"N		797'13.1134"W		2.767		351852.354		0		UNKNOWN		56		32768		CLASSIC		OMNI PEAK		140		45.148		100		2		8		6.364		3.221		57.256		Yes		8/18/25 8:05		RTK		32		1.08		0.6		0.9		9386		-1339		Yes		RTK		3D		0.8		110		1.64		0.512		0.591		3.437				WME		Water Meter

		UP2037		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2037		8/18/25 8:06		3725'51.1721"N		797'12.2948"W		65.963		351918.316		0		UNKNOWN		33		32768		CLASSIC		OMNI PEAK		140		52.555		100		-7		11		11.576		-5.444		-58.867		Yes		8/18/25 8:06		RTK		32		1.04		0.56		0.87		9371		-1339		Yes		RTK		3D		1.2		110		1.388		0.551		0.512		2.988				WME		Water Meter

		UP2038		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2038		8/18/25 8:06		3725'51.1661"N		797'12.2790"W		1.414		351919.73		0		UNKNOWN		30		32768		CLASSIC		OMNI PEAK		140		42.21		100		-5		9		10.343		0.651		-55.025		Yes		8/18/25 8:06		RTK		32		1.04		0.56		0.87		9371		-1339		Yes		RTK		3D		1.4		110		0.551		0.354		0.394		1.31				WME		Water Meter

		UP2039		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2039		8/18/25 8:06		3725'50.9164"N		797'11.6518"W		56.517		351976.247		0		UNKNOWN		15		32768		CLASSIC		OMNI PEAK		140		26.376		100		62		8		10.557		0.59		-61.177		Yes		8/18/25 8:06		RTK		32		1.03		0.56		0.87		9345		-1339		Yes		RTK		3D		1		110		1.774		0.672		0.63		3.794				WME		Water Meter

		UP2040		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2040		8/18/25 8:07		3725'50.6599"N		797'11.8496"W		30.51		352006.757		0		UNKNOWN		278		32768		CLASSIC		OMNI PEAK		140		6.204		100		-4		8		3.302		-2.397		34.319		Yes		8/18/25 8:07		RTK		32		1.08		0.6		0.9		9342		-1339		Yes		RTK		3D		1.8		110		2.522		0.948		0.709		5.389				WME		Water Meter

		UP2041		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2041		8/18/25 8:08		3725'50.9175"N		797'11.6534"W		30.543		352037.3		0		UNKNOWN		13		32768		CLASSIC		OMNI PEAK		140		18.78		100		0		12		12.75		-0.397		-9.815		Yes		8/18/25 8:08		RTK		32		1.08		0.6		0.9		9342		-1339		Yes		RTK		3D		1.6		110		1.157		0.382		0.433		2.438				WME		Water Meter

		UP2042		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2042		8/18/25 8:08		3725'50.3665"N		797'11.2595"W		64.284		352101.584		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		1.943		100		-15		9		4.443		-0.736		-26.741		Yes		8/18/25 8:08		RTK		32		1.03		0.56		0.87		9296		-1339		Yes		RTK		3D		1.6		110		1.512		0.512		0.551		3.192				WME		Water Meter

		UP2043		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2043		8/18/25 8:09		3725'50.1168"N		797'10.1157"W		95.564		352197.148		0		UNKNOWN		33		32768		CLASSIC		OMNI PEAK		140		46.372		100		-9		11		9.773		-3.643		-4.724		Yes		8/18/25 8:09		RTK		32		1.07		0.57		0.91		9223		-1339		Yes		RTK		3D		1		110		1.512		0.85		0.591		3.469				WME		Water Meter

		UP2044		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2044		8/18/25 8:09		3725'50.1017"N		797'10.0999"W		1.99		352199.138		0		UNKNOWN		125		32768		CLASSIC		OMNI PEAK		140		21.741		100		56		5		9.936		-0.371		-26.335		Yes		8/18/25 8:09		RTK		32		1.03		0.56		0.87		9218		-1339		Yes		RTK		3D		1.8		110		1.913		0.759		0.669		4.117				WME		Water Meter

		UP2045		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2045		8/18/25 8:10		3725'49.4936"N		797'10.6363"W		75.323		352274.461		0		UNKNOWN		36		32768		CLASSIC		OMNI PEAK		140		100		100		-15		1		17.299		1.223		-37.131		Yes		8/18/25 8:10		RTK		32		1.01		0.54		0.85		9189		-1339		Yes		RTK		3D		1.4		110		1.27		0.512		0.512		2.739				WME		Water Meter

		UP2046		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2046		8/18/25 8:16		3725'53.2616"N		797'23.2290"W		1084.097		353358.558		0		UNKNOWN		32		32768		CLASSIC		OMNI PEAK		140		100		100		7		12		15.889		-3.967		-68.721		Yes		8/18/25 8:16		RTK		32		1.01		0.52		0.86		9297		-1339		Yes		RTK		3D		1		110		0.948		0.551		0.512		2.192				WME		Water Meter

		UP2047		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2047		8/18/25 8:17		3725'54.0242"N		797'22.6559"W		90.091		353448.649		0.003		FORWARDS		131		512		CLASSIC		OMNI PEAK		140		100		100		-6		9		9.681		-3.225		-69.084		Yes		8/18/25 8:17		RTK		32		1.01		0.52		0.86		9312		-1339		Yes		RTK		3D		1.6		110		0.948		0.672		0.551		2.323				WME		Water Meter

		UP2048		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2048		8/18/25 8:18		3725'54.9502"N		797'21.9399"W		110.243		353558.892		0		BACKWARDS		0		512		CLASSIC		OMNI PEAK		140		1.052		100		-9		13		10.664		-2.219		-31.165		Yes		8/18/25 8:18		RTK		32		1.01		0.52		0.86		9343		-1339		Yes		RTK		3D		1.8		110		1.27		0.551		0.512		2.77				WME		Water Meter

		UP2049		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2049		8/18/25 8:20		3725'55.6135"N		797'18.6139"W		276.258		353835.15		0		BACKWARDS		2		512		CLASSIC		OMNI PEAK		140		100		100		-18		7		7.275		-1.918		-26.648		Yes		8/18/25 8:20		RTK		32		1.02		0.54		0.87		9552		-1339		Yes		RTK		3D		1.6		110		2.058		0.672		0.591		4.329				WME		Water Meter

		UP2050		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2050		8/18/25 8:21		3725'56.4730"N		797'15.4995"W		265.614		354100.764		0		BACKWARDS		17		512		CLASSIC		OMNI PEAK		140		100		100		-3		12		11.407		-1.11		-19.642		Yes		8/18/25 8:21		RTK		32		1		0.52		0.86		9441		-1339		Yes		RTK		3D		1.2		110		1.157		0.672		0.591		2.677				WME		Water Meter

		UP2051		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2051		8/18/25 8:22		3725'56.3210"N		797'14.3941"W		90.374		354191.138		0		FORWARDS		35		512		CLASSIC		OMNI PEAK		140		100		100		0		11		8.014		-1.414		-39.23		Yes		8/18/25 8:22		RTK		32		1		0.52		0.86		9346		-1339		Yes		RTK		3D		1.2		110		1.64		1.05		0.709		3.895				WME		Water Meter

		UP2052		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2052		8/18/25 8:22		3725'56.9059"N		797'13.5157"W		92.344		354283.482		0.001		UNKNOWN		206		512		CLASSIC		OMNI PEAK		140		100		100		-26		8		6.246		-4.082		-41.058		Yes		8/18/25 8:23		RTK		32		1.03		0.53		0.89		9351		-1339		Yes		RTK		3D		1.6		110		0.672		0.512		0.512		1.689				WME		Water Meter

		UP2053		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2053		8/18/25 8:24		3725'56.6450"N		797'10.1890"W		269.296		354552.779		0		BACKWARDS		4		512		CLASSIC		OMNI PEAK		140		100		100		4		9		9.499		-2.982		-3.022		Yes		8/18/25 8:24		RTK		32		1.08		0.54		0.94		9149		-1339		Yes		RTK		3D		1.8		110		0.672		0.37		0.394		1.534				WME		Water Meter

		UP2054		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2054		8/18/25 8:25		3725'56.1077"N		797'9.4335"W		81.711		354634.49		0		BACKWARDS		8		512		CLASSIC		OMNI PEAK		140		100		100		-6		12		11.295		-2.793		72.528		Yes		8/18/25 8:25		RTK		32		1.11		0.56		0.96		9067		-1339		Yes		RTK		3D		1		110		0.672		0.433		0.472		1.599				WME		Water Meter

		UP2055		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2055		8/18/25 8:25		3725'56.4376"N		797'8.9338"W		52.356		354686.846		0		BACKWARDS		0		512		CLASSIC		OMNI PEAK		140		27.775		100		-6		10		9.411		-1.777		48.405		Yes		8/18/25 8:25		RTK		31		1.1		0.55		0.95		9072		-1339		Yes		RTK		3D		2		110		1.27		1.05		0.709		3.296				WME		Water Meter

		UP2056		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2056		8/18/25 8:25		3725'56.2882"N		797'8.2560"W		56.665		354743.511		0		BACKWARDS		22		512		CLASSIC		OMNI PEAK		140		100		100		-2		6		7.599		2.55		32.206		Yes		8/18/25 8:25		RTK		32		1.08		0.54		0.93		9064		-1339		Yes		RTK		3D		0.8		110		2.362		1.157		0.827		5.261				WME		Water Meter

		UP2057		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2057		8/18/25 8:25		3725'56.2751"N		797'8.2366"W		2.058		354745.569		0		FORWARDS		0		512		CLASSIC		OMNI PEAK		140		100		100		13		4		8.539		1.48		-82.431		Yes		8/18/25 8:25		RTK		32		1.11		0.56		0.95		9059		-1339		Yes		RTK		3D		1.6		110		0.948		0.551		0.591		2.192				WME		Water Meter

		UP2058		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2058		8/18/25 8:26		3725'55.8241"N		797'8.1756"W		46.013		354791.582		0		FORWARDS		0		512		CLASSIC		OMNI PEAK		140		100		100		-3		12		13.826		0.528		6.209		Yes		8/18/25 8:26		RTK		32		1.03		0.52		0.88		9015		-1339		Yes		RTK		3D		0.6		110		1.64		0.948		0.669		3.789				WME		Water Meter

		UP2059		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2059		8/18/25 8:27		3725'55.5130"N		797'6.9169"W		106.198		354897.78		0		BACKWARDS		139		512		CLASSIC		OMNI PEAK		140		100		100		-1		10		9.796		2.121		65.661		Yes		8/18/25 8:27		RTK		32		1.08		0.54		0.93		8971		-1339		Yes		RTK		3D		0.8		110		2.362		1.157		0.709		5.261				WME		Water Meter

		UP2060		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2060		8/18/25 8:27		3725'55.5106"N		797'6.8867"W		2.451		354900.231		0		FORWARDS		35		512		CLASSIC		OMNI PEAK		140		100		100		2		6		16.222		-1.297		6.346		Yes		8/18/25 8:27		RTK		32		1.03		0.52		0.88		8970		-1339		Yes		RTK		3D		1.2		110		0.85		0.472		0.394		1.946				WME		Water Meter

		UP2061		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2061		8/18/25 8:32		3725'56.0816"N		797'16.6440"W		788.177		355688.409		0.004		BACKWARDS		4463		512		CLASSIC		OMNI PEAK		140		97.931		100		3		10		6.478		5.089		-7.305		Yes		8/18/25 8:32		RTK		32		1.07		0.54		0.92		9499		-1339		Yes		RTK		3D		1		110		0.85		0.512		0.472		1.985				WME		Water Meter

		UP2062		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2062		8/18/25 8:33		3725'57.5172"N		797'17.1282"W		150.774		355839.183		0		FORWARDS		0		512		CLASSIC		OMNI PEAK		140		100		100		3		12		8.257		-0.702		-38.175		Yes		8/18/25 8:33		FLOAT RTK		32		1.05		0.53		0.91		9578		-1339		Yes		FLOAT RTK		3D		1		110		3.497		2.393		0.512		8.475				WME		Water Meter

		UP2063		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2063		8/18/25 8:33		3725'57.4454"N		797'17.3660"W		20.499		355859.682		0		BACKWARDS		6		512		CLASSIC		OMNI PEAK		140		100		100		0		13		13.515		-0.715		-31.628		Yes		8/18/25 8:33		RTK		31		1.12		0.6		0.94		9570		-1339		Yes		RTK		3D		1.2		110		1.913		0.948		0.63		4.27				WME		Water Meter

		UP2064		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2064		8/18/25 8:33		3725'57.3889"N		797'17.7321"W		30.039		355889.721		0		FORWARDS		0		512		CLASSIC		OMNI PEAK		140		9.274		100		0		10		12.772		-3.061		83.759		Yes		8/18/25 8:33		RTK		32		1.03		0.51		0.89		9566		-1339		Yes		RTK		3D		1.4		110		1.27		0.551		0.472		2.77				WME		Water Meter

		UP2065		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2065		8/18/25 8:34		3725'57.3383"N		797'18.0600"W		26.91		355916.631		0		BACKWARDS		2		512		CLASSIC		OMNI PEAK		140		100		100		-1		9		8.127		-2.732		87.128		Yes		8/18/25 8:34		RTK		32		1.06		0.54		0.92		9568		-1339		Yes		RTK		3D		1.2		110		2.522		0.948		0.748		5.389				WME		Water Meter

		UP2066		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2066		8/18/25 8:34		3725'57.2752"N		797'18.3997"W		28.107		355944.737		0		FORWARDS		20		512		CLASSIC		OMNI PEAK		140		100		100		0		12		6.639		0.254		67.829		Yes		8/18/25 8:34		RTK		32		0.98		0.49		0.85		9564		-1339		Yes		RTK		3D		1.6		110		2.207		0.672		0.591		4.615				WME		Water Meter

		UP2067		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2067		8/18/25 8:34		3725'57.1471"N		797'19.1936"W		65.266		356010.003		0		FORWARDS		7		512		CLASSIC		OMNI PEAK		140		100		100		1		11		9.29		-4.536		68.477		Yes		8/18/25 8:34		RTK		32		1.01		0.51		0.87		9539		-1339		Yes		RTK		3D		1.6		110		1.913		1.388		0.827		4.728				WME		Water Meter

		UP2068		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2068		8/18/25 8:34		3725'57.0967"N		797'19.5188"W		26.69		356036.694		0		BACKWARDS		10		512		CLASSIC		OMNI PEAK		140		100		100		1		13		10.558		-4.456		42.877		Yes		8/18/25 8:35		RTK		32		1.04		0.5		0.91		9529		-1339		Yes		RTK		3D		1.4		110		0.551		0.394		0.394		1.355				WME		Water Meter

		UP2069		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2069		8/18/25 8:35		3725'57.0366"N		797'19.8893"W		30.463		356067.157		0		FORWARDS		24		512		CLASSIC		OMNI PEAK		140		100		100		13		8		9.429		-0.437		34.505		Yes		8/18/25 8:35		RTK		32		1.04		0.5		0.91		9521		-1339		Yes		RTK		3D		1		110		0.948		0.591		0.512		2.233				WME		Water Meter

		UP2070		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2070		8/18/25 8:35		3725'56.9858"N		797'20.2272"W		27.704		356094.861		0		FORWARDS		0		512		CLASSIC		OMNI PEAK		140		2.077		100		7		12		10.83		-8.814		-86.028		Yes		8/18/25 8:35		RTK		31		1.16		0.58		1.01		9514		-1339		Yes		RTK		3D		0.8		110		0.591		0.472		0.433		1.513				WME		Water Meter

		UP2071		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2071		8/18/25 8:36		3725'57.3566"N		797'20.6304"W		49.703		356144.564		0		FORWARDS		0		512		CLASSIC		OMNI PEAK		140		83.298		100		-25		6		21.618		9.61		31.787		Yes		8/18/25 8:36		RTK		32		1.05		0.52		0.92		9430		-1339		Yes		RTK		3D		1.6		110		0.551		0.433		0.394		1.402				WME		Water Meter

		UP2072		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2072		8/18/25 8:38		3725'58.5400"N		797'20.2764"W		123.394		356267.958		0		FORWARDS		77		512		CLASSIC		OMNI PEAK		140		100		100		-6		6		10.983		1.793		-11.712		Yes		8/18/25 8:38		RTK		32		1.06		0.51		0.93		9477		-1339		Yes		RTK		3D		1		110		0.948		0.85		0.591		2.546				WME		Water Meter

		UP2073		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2073		8/18/25 8:38		3725'59.1517"N		797'20.1359"W		63.085		356331.043		0		FORWARDS		5		512		CLASSIC		OMNI PEAK		140		100		100		12		7		15.925		-10.57		5.802		Yes		8/18/25 8:38		RTK		32		1		0.5		0.87		9499		-1339		Yes		RTK		3D		1		110		0.512		0.433		0.394		1.341				WME		Water Meter

		UP2074		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2074		8/18/25 8:45		3726'0.3575"N		797'18.3499"W		188.855		356519.898		-0.001		FORWARDS		0		512		CLASSIC		OMNI PEAK		140		100		100		-6		9		18.684		-1.039		10.994		Yes		8/18/25 8:45		RTK		32		1.06		0.52		0.92		9595		-1339		Yes		RTK		3D		1.2		110		0.759		0.591		0.472		1.923				WME		Water Meter

		UP2075		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2075		8/18/25 8:45		3726'0.5224"N		797'17.5802"W		64.217		356584.116		0		BACKWARDS		37		512		CLASSIC		OMNI PEAK		140		100		100		-5		3		10.363		-0.157		19.407		Yes		8/18/25 8:45		RTK		32		1.06		0.52		0.92		9561		-1339		Yes		RTK		3D		0.6		110		0.512		0.327		0.394		1.214				WME		Water Meter

		UP2076		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2076		8/18/25 8:47		3726'0.9236"N		797'17.6377"W		40.962		356625.078		0		BACKWARDS		0		512		CLASSIC		OMNI PEAK		140		100		100		0		10		13.346		-2.923		64.167		Yes		8/18/25 8:47		RTK		32		1.03		0.51		0.9		9584		-1339		Yes		RTK		3D		1.2		110		1.512		0.948		0.669		3.568				WME		Water Meter

		UP2077		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2077		8/18/25 8:47		3726'0.7039"N		797'17.0153"W		54.872		356679.951		0		FORWARDS		0		512		CLASSIC		OMNI PEAK		140		81.915		100		-25		7		9.298		3.323		-37.929		Yes		8/18/25 8:47		RTK		32		1.01		0.5		0.88		9531		-1339		Yes		RTK		3D		1.4		110		0.394		0.323		0.394		1.018				WME		Water Meter

		UP2078		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2078		8/18/25 8:47		3726'0.8427"N		797'16.4358"W		48.764		356728.714		0		FORWARDS		0		512		CLASSIC		OMNI PEAK		140		100		100		-7		10		11.351		-1.382		-77.8		Yes		8/18/25 8:47		RTK		32		1.08		0.53		0.94		9504		-1339		Yes		RTK		3D		1.4		110		0.512		0.303		0.394		1.19				WME		Water Meter

		UP2079		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2079		8/18/25 8:47		3726'0.8667"N		797'16.3818"W		4.983		356733.698		0		FORWARDS		0		512		CLASSIC		OMNI PEAK		140		100		100		-10		7		13.265		-0.924		-76.256		Yes		8/18/25 8:47		RTK		32		1.05		0.51		0.92		9502		-1339		Yes		RTK		3D		2.6		110		0.394		0.307		0.394		0.999				WME		Water Meter

		UP2080		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2080		8/18/25 8:48		3726'1.2671"N		797'16.4544"W		41.037		356774.735		-0.03		FORWARDS		0		512		CLASSIC		OMNI PEAK		140		100		100		-21		10		12.343		-6.724		-77.558		Yes		8/18/25 8:48		RTK		32		1.02		0.5		0.89		9541		-1339		Yes		RTK		3D		1.2		110		0.551		0.433		0.394		1.402				WME		Water Meter

		UP2081		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2081		8/18/25 8:48		3726'0.9180"N		797'16.0710"W		46.996		356821.731		0.001		BACKWARDS		34		512		CLASSIC		OMNI PEAK		140		100		100		-5		3		12.212		4.394		89.343		Yes		8/18/25 8:48		RTK		31		1		0.49		0.88		9489		-1339		Yes		RTK		3D		1.4		110		0.433		0.394		0.394		1.171				WME		Water Meter

		UP2082		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2082		8/18/25 8:49		3726'1.4249"N		797'15.8606"W		54.148		356875.879		0.002		FORWARDS		312		512		CLASSIC		OMNI PEAK		140		100		100		13		9		6.521		1.168		89.643		Yes		8/18/25 8:49		RTK		32		1.02		0.5		0.89		9505		-1339		Yes		RTK		3D		1.8		110		0.512		0.472		0.394		1.393				WME		Water Meter

		UP2083		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2083		8/18/25 8:49		3726'1.2698"N		797'14.8350"W		84.11		356959.99		0.001		FORWARDS		27		512		CLASSIC		OMNI PEAK		140		100		100		3		7		15.364		5.325		65.045		Yes		8/18/25 8:49		RTK		31		1.02		0.5		0.89		9406		-1339		Yes		RTK		3D		1.4		110		0.551		0.433		0.394		1.402				WME		Water Meter

		UP2084		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2084		8/18/25 8:50		3726'1.7320"N		797'14.3029"W		63.527		357023.517		0.001		BACKWARDS		31		512		CLASSIC		OMNI PEAK		140		100		100		-3		4		14.606		1.755		-46.064		Yes		8/18/25 8:50		RTK		32		1.02		0.5		0.89		9438		-1339		Yes		RTK		3D		1.8		110		0.433		0.303		0.394		1.057				WME		Water Meter

		UP2085		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2085		8/18/25 8:50		3726'1.7500"N		797'12.9898"W		105.798		357129.315		0.001		FORWARDS		38		512		CLASSIC		OMNI PEAK		140		100		100		-2		2		10.985		0.613		51.882		Yes		8/18/25 8:50		RTK		32		1.02		0.51		0.88		9410		-1339		Yes		RTK		3D		1		110		0.672		0.472		0.433		1.643				WME		Water Meter

		UP2086		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2086		8/18/25 8:51		3726'2.3440"N		797'12.4298"W		75.273		357204.588		0		BACKWARDS		49		512		CLASSIC		OMNI PEAK		140		100		100		0		10		18.213		6.086		11.531		Yes		8/18/25 8:51		RTK		31		0.98		0.5		0.84		9443		-1339		Yes		RTK		3D		2.2		110		0.433		0.319		0.394		1.076				WME		Water Meter

		UP2087		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2087		8/18/25 8:51		3726'2.5406"N		797'11.7394"W		59.087		357263.675		0		FORWARDS		0		512		CLASSIC		OMNI PEAK		140		100		100		-39		6		13.861		-1.488		-6.896		Yes		8/18/25 8:51		RTK		32		1.04		0.52		0.9		9427		-1339		Yes		RTK		3D		1		110		0.472		0.366		0.394		1.195				WME		Water Meter

		UP2088		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2088		8/18/25 8:51		3726'2.7597"N		797'10.9534"W		67.106		357330.781		0		FORWARDS		33		512		CLASSIC		OMNI PEAK		140		100		100		5		12		6.791		2.741		-28.081		Yes		8/18/25 8:51		RTK		32		0.97		0.49		0.84		9379		-1339		Yes		RTK		3D		1.6		110		1.05		0.672		0.591		2.493				WME		Water Meter

		UP2089		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2089		8/18/25 8:52		3726'2.9520"N		797'10.2169"W		62.455		357393.236		0		FORWARDS		7		512		CLASSIC		OMNI PEAK		140		100		100		1		12		8.37		1.745		22.391		Yes		8/18/25 8:52		RTK		32		0.99		0.5		0.86		9306		-1339		Yes		RTK		3D		1.2		110		0.948		0.551		0.512		2.192				WME		Water Meter

		UP2090		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2090		8/18/25 8:52		3726'3.1066"N		797'9.7762"W		38.812		357432.048		-0.001		FORWARDS		0		512		CLASSIC		OMNI PEAK		140		69.167		100		1		11		9.957		-3.2		23.886		Yes		8/18/25 8:52		RTK		32		1.13		0.56		0.99		9253		-1339		Yes		RTK		3D		1.8		110		0.759		0.512		0.472		1.83				WME		Water Meter

		UP2091		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2091		8/18/25 8:52		3726'2.9366"N		797'9.5662"W		24.16		357456.208		0		BACKWARDS		30		512		CLASSIC		OMNI PEAK		140		95.784		100		5		8		9.12		-0.872		-70.351		Yes		8/18/25 8:52		RTK		32		1.09		0.53		0.95		9230		-1339		Yes		RTK		3D		1.2		110		1.64		0.85		0.709		3.695				WME		Water Meter

		UP2092		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2092		8/18/25 8:53		3726'2.0564"N		797'11.6594"W		190.806		357647.015		0		BACKWARDS		0		512		CLASSIC		OMNI PEAK		140		11.113		100		-24		12		9.608		-2.515		-30.301		Yes		8/18/25 8:53		RTK		32		1.04		0.51		0.9		9383		-1339		Yes		RTK		3D		1		110		1.05		0.948		0.63		2.828				WME		Water Meter

		UP2093		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2093		8/18/25 8:53		3726'2.0477"N		797'11.6756"W		1.572		357648.587		0		BACKWARDS		0		512		CLASSIC		OMNI PEAK		140		0.615		100		-6		13		12.795		1.482		-20.767		Yes		8/18/25 8:53		RTK		32		1		0.5		0.87		9382		-1339		Yes		RTK		3D		1.8		110		0.472		0.433		0.394		1.282				WME		Water Meter

		UP2094		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2094		8/18/25 8:54		3726'1.6792"N		797'11.5462"W		38.814		357687.401		0		FORWARDS		0		512		CLASSIC		OMNI PEAK		140		10.928		100		-12		11		9.044		0.191		75.61		Yes		8/18/25 8:54		RTK		32		1		0.5		0.87		9348		-1339		Yes		RTK		3D		16.2		110		1.157		0.672		0.591		2.677				WME		Water Meter

		UP2095		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2095		8/18/25 8:54		3726'0.9839"N		797'10.0371"W		140.55		357827.951		0.001		BACKWARDS		58		512		CLASSIC		OMNI PEAK		140		100		100		-8		3		9.154		0.962		35.467		Yes		8/18/25 8:54		RTK		32		1		0.5		0.86		9248		-1339		Yes		RTK		3D		1.4		110		1.05		0.591		0.591		2.409				WME		Water Meter

		UP2096		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2096		8/18/25 8:55		3726'0.5956"N		797'9.3831"W		65.787		357893.738		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		13.272		100		-25		9		5.457		-2.861		1.643		Yes		8/18/25 8:55		RTK		32		1.07		0.53		0.93		9173		-1339		Yes		RTK		3D		1.2		110		0.85		0.551		0.551		2.027				WME		Water Meter

		UP2097		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2097		8/18/25 8:56		3726'0.3474"N		797'8.5003"W		75.443		357969.181		0		FORWARDS		32		512		CLASSIC		OMNI PEAK		140		100		100		-4		6		10		1.816		75.638		Yes		8/18/25 8:56		RTK		32		1		0.5		0.87		9088		-1339		Yes		RTK		3D		0.6		110		0.759		0.672		0.551		2.027				WME		Water Meter

		UP2098		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2098		8/18/25 8:56		3726'0.4216"N		797'8.4890"W		7.588		357976.769		0		BACKWARDS		0		512		CLASSIC		OMNI PEAK		140		50.232		100		-14		10		13.651		3.135		-1.961		Yes		8/18/25 8:56		RTK		32		1		0.5		0.87		9093		-1339		Yes		RTK		3D		0.6		110		1.05		0.948		0.63		2.828				WME		Water Meter

		UP2099		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2099		8/18/25 9:03		3726'4.7033"N		797'20.0834"W		1030.082		359006.851		0		FORWARDS		0		512		CLASSIC		OMNI PEAK		140		19.04		100		6		11		10.005		-1.954		-71.238		Yes		8/18/25 9:03		RTK		32		1.15		0.59		0.99		9660		-1339		Yes		RTK		3D		0.8		110		0.948		0.472		0.472		2.118				WME		Water Meter

		UP2100		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2100		8/18/25 9:05		3726'6.3753"N		797'17.5169"W		267.425		359274.276		0		FORWARDS		0		512		CLASSIC		OMNI PEAK		140		100		100		-9		11		11.59		-3.194		-8.569		Yes		8/18/25 9:05		RTK		32		1.11		0.54		0.97		9684		-1339		Yes		RTK		3D		1.2		110		1.64		1.27		0.748		4.15				WME		Water Meter

		UP2101		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2101		8/18/25 9:05		3726'6.7866"N		797'16.8077"W		70.745		359345.022		0		UNKNOWN		78		512		CLASSIC		OMNI PEAK		140		100		100		15		8		14.43		-0.375		-79.037		Yes		8/18/25 9:05		RTK		32		1.15		0.56		1.01		9650		-1339		Yes		RTK		3D		1.2		110		0.948		0.591		0.591		2.233				WME		Water Meter

		UP2102		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2102		8/18/25 9:05		3726'6.7855"N		797'16.8201"W		1.005		359346.027		0		FORWARDS		0		512		CLASSIC		OMNI PEAK		140		100		100		-1		10		7.458		-5.259		-28.336		Yes		8/18/25 9:05		RTK		32		1.15		0.56		1.01		9649		-1339		Yes		RTK		3D		0.6		110		1.512		0.948		0.669		3.568				WME		Water Meter

		UP2103		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2103		8/18/25 9:07		3726'7.8565"N		797'21.2331"W		371.722		359717.749		0.001		BACKWARDS		44		512		CLASSIC		OMNI PEAK		140		100		100		3		10		19.834		-4.769		42.55		Yes		8/18/25 9:07		RTK		31		1.25		0.58		1.11		9739		-1339		Yes		RTK		3D		1.6		110		1.512		0.759		0.669		3.383				WME		Water Meter

		UP2104		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2104		8/18/25 9:08		3726'12.4599"N		797'22.3832"W		476.121		360193.87		0		BACKWARDS		14		512		CLASSIC		OMNI PEAK		140		100		100		17		9		2.216		3.501		41.013		Yes		8/18/25 9:08		RTK		32		1.14		0.57		0.99		9751		-1339		Yes		RTK		3D		1.2		110		1.157		0.759		0.669		2.768				WME		Water Meter

		UP2105		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2105		8/18/25 9:08		3726'12.4742"N		797'22.3846"W		1.453		360195.323		0		BACKWARDS		290		512		CLASSIC		OMNI PEAK		140		78.666		100		-27		9		6.64		7.024		-44.011		Yes		8/18/25 9:09		RTK		32		1.06		0.55		0.9		9749		-1339		Yes		RTK		3D		1.6		110		1.05		0.512		0.512		2.336				WME		Water Meter

		UP2106		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2106		8/18/25 9:09		3726'12.9787"N		797'22.2952"W		51.679		360247.002		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		26.938		100		-42		7		13.51		4.575		-1.827		Yes		8/18/25 9:09		RTK		32		1.07		0.52		0.94		9727		-1339		Yes		RTK		3D		1.4		110		0.948		0.672		0.63		2.323				WME		Water Meter

		UP2107		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2107		8/18/25 9:18		3726'10.0556"N		797'26.7776"W		467.242		360714.244		0.001		FORWARDS		168		512		CLASSIC		OMNI PEAK		140		100		100		1		11		28.482		-1.059		11.053		Yes		8/18/25 9:18		RTK		31		1.1		0.53		0.96		9883		-1339		Yes		RTK		3D		1		110		0.672		0.512		0.512		1.689				WME		Water Meter

		UP2108		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2108		8/18/25 9:19		3726'10.7254"N		797'27.9027"W		113.275		360827.519		0		FORWARDS		19		512		CLASSIC		OMNI PEAK		140		100		100		-19		7		16.097		3.005		-81.314		Yes		8/18/25 9:19		RTK		32		1.09		0.53		0.96		9918		-1339		Yes		RTK		3D		0.6		110		0.672		0.512		0.512		1.689				WME		Water Meter

		UP2109		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2109		8/18/25 9:20		3726'11.7453"N		797'28.6869"W		121.227		360948.746		0		FORWARDS		3		512		CLASSIC		OMNI PEAK		140		100		100		-3		9		9.015		-5.165		40.883		Yes		8/18/25 9:20		RTK		32		1.09		0.53		0.95		9872		-1339		Yes		RTK		3D		1.2		110		0.948		0.672		0.512		2.323				WME		Water Meter

		UP2110		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2110		8/18/25 9:20		3726'11.2980"N		797'28.8849"W		48.1		360996.846		0		FORWARDS		44		512		CLASSIC		OMNI PEAK		140		100		100		-29		7		11.621		1.262		29.356		Yes		8/18/25 9:20		RTK		32		1.2		0.55		1.06		9869		-1339		Yes		RTK		3D		1.2		110		1.64		1.157		0.748		4.015				WME		Water Meter

		UP2111		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2111		8/18/25 9:20		3726'12.2819"N		797'29.6638"W		117.899		361114.745		0		BACKWARDS		19		512		CLASSIC		OMNI PEAK		140		100		100		15		6		15.216		-6.437		-10.394		Yes		8/18/25 9:21		RTK		32		1.19		0.55		1.06		9812		-1339		Yes		RTK		3D		1.8		110		2.362		1.64		0.906		5.752				WME		Water Meter

		UP2112		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2112		8/18/25 9:21		3726'12.0539"N		797'30.0857"W		41.109		361155.854		0		BACKWARDS		12		512		CLASSIC		OMNI PEAK		140		100		100		0		11		6.542		-3.901		48.588		Yes		8/18/25 9:21		RTK		32		1.19		0.55		1.06		9790		-1339		Yes		RTK		3D		2.2		110		0.759		0.672		0.551		2.027				WME		Water Meter

		UP2113		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2113		8/18/25 9:21		3726'12.8279"N		797'30.5595"W		87.315		361243.17		0		UNKNOWN		47		512		CLASSIC		OMNI PEAK		140		100		100		-6		7		10.858		-1.692		-67.978		Yes		8/18/25 9:21		RTK		32		1.1		0.54		0.95		9806		-1339		Yes		RTK		3D		1.2		110		1.27		0.759		0.669		2.959				WME		Water Meter

		UP2114		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2114		8/18/25 9:22		3726'12.7172"N		797'31.1485"W		48.754		361291.924		0		UNKNOWN		28		512		CLASSIC		OMNI PEAK		140		100		100		-1		10		15.437		2.071		77.092		Yes		8/18/25 9:22		RTK		32		1.08		0.53		0.95		9777		-1339		Yes		RTK		3D		1.4		110		0.85		0.591		0.591		2.071				WME		Water Meter

		UP2115		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2115		8/18/25 9:22		3726'13.3774"N		797'31.4897"W		72.396		361364.32		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		5.228		100		20		9		4.925		-3.118		-40.963		Yes		8/18/25 9:22		RTK		32		1.09		0.54		0.95		9767		-1339		Yes		RTK		3D		1.4		110		0.433		0.37		0.394		1.139				WME		Water Meter

		UP2116		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2116		8/18/25 9:22		3726'13.2123"N		797'32.0548"W		48.506		361412.826		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		9.9		100		23		8		19.979		2.953		-67.229		Yes		8/18/25 9:22		RTK		32		1.08		0.53		0.94		9759		-1339		Yes		RTK		3D		1.2		110		0.551		0.512		0.472		1.504				WME		Water Meter

		UP2117		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2117		8/18/25 9:28		3726'13.9929"N		797'32.4903"W		86.619		361499.445		0.001		UNKNOWN		65		512		CLASSIC		OMNI PEAK		140		100		100		9		10		16.45		-2.407		41.342		Yes		8/18/25 9:28		RTK		32		1.13		0.54		1		9740		-1339		Yes		RTK		3D		1.2		110		0.472		0.433		0.394		1.282				WME		Water Meter

		UP2118		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2118		8/18/25 9:28		3726'13.6660"N		797'33.3286"W		75.225		361574.669		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		34.666		100		-3		11		10.997		0.091		-24.087		Yes		8/18/25 9:29		RTK		32		1.16		0.55		1.03		9694		-1339		Yes		RTK		3D		1		110		1.05		0.85		0.63		2.702				WME		Water Meter

		UP2119		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2119		8/18/25 9:29		3726'14.3031"N		797'33.6398"W		69.319		361643.988		0.001		UNKNOWN		74		512		CLASSIC		OMNI PEAK		140		100		100		-3		10		9.366		2.937		-85.532		Yes		8/18/25 9:29		RTK		32		1.13		0.54		0.99		9662		-1339		Yes		RTK		3D		1.2		110		0.85		0.672		0.551		2.168				WME		Water Meter

		UP2120		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2120		8/18/25 9:29		3726'13.7821"N		797'34.9115"W		115.272		361759.26		-0.001		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		8		6		15.269		6.139		8.751		Yes		8/18/25 9:30		RTK		32		1.13		0.54		0.99		9655		-1339		Yes		RTK		3D		1.4		110		0.591		0.433		0.472		1.465				WME		Water Meter

		UP2121		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2121		8/18/25 9:30		3726'14.3208"N		797'35.4158"W		68.098		361827.357		0		UNKNOWN		46		512		CLASSIC		OMNI PEAK		140		100		100		-1		10		13.899		1.175		-29.014		Yes		8/18/25 9:30		RTK		32		1.12		0.54		0.99		9602		-1339		Yes		RTK		3D		2		110		0.394		0.366		0.394		1.075				WME		Water Meter

		UP2122		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2122		8/18/25 9:30		3726'14.2367"N		797'35.9186"W		41.389		361868.747		0		UNKNOWN		135		512		CLASSIC		OMNI PEAK		140		100		100		-21		11		12.966		1.029		25.871		Yes		8/18/25 9:30		RTK		32		1.12		0.54		0.98		9605		-1339		Yes		RTK		3D		0.8		110		0.948		0.672		0.591		2.323				WME		Water Meter

		UP2123		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2123		8/18/25 9:30		3726'13.8008"N		797'35.9915"W		44.605		361913.352		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		3		11		14.855		-0.448		-53.027		Yes		8/18/25 9:31		RTK		32		1.16		0.55		1.02		9652		-1339		Yes		RTK		3D		1.6		110		0.551		0.472		0.472		1.452				WME		Water Meter

		UP2124		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2124		8/18/25 9:31		3726'13.8406"N		797'37.2110"W		98.317		362011.669		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		5		9		11.76		5.79		74.062		Yes		8/18/25 9:31		RTK		32		1.12		0.54		0.98		9654		-1339		Yes		RTK		3D		0.6		110		0.551		0.433		0.472		1.402				WME		Water Meter

		UP2125		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2125		8/18/25 9:32		3726'13.9767"N		797'38.7285"W		123.017		362134.686		0		UNKNOWN		13		512		CLASSIC		OMNI PEAK		140		100		100		-11		8		6.025		2.222		31.929		Yes		8/18/25 9:32		RTK		32		1.12		0.54		0.98		9662		-1339		Yes		RTK		3D		0.8		110		0.472		0.433		0.394		1.282				WME		Water Meter

		UP2126		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2126		8/18/25 9:36		3726'12.2018"N		797'40.3708"W		223.44		362358.127		0		UNKNOWN		65		512		CLASSIC		OMNI PEAK		140		100		100		13		6		11.158		4.211		-65.723		Yes		8/18/25 9:36		RTK		32		1.09		0.54		0.95		9629		-1339		Yes		RTK		3D		1.4		110		2.058		1.512		1.024		5.107				WME		Water Meter

		UP2127		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2127		8/18/25 9:37		3726'11.5342"N		797'41.4693"W		111.43		362469.557		0		UNKNOWN		20		512		CLASSIC		OMNI PEAK		140		100		100		-2		10		12.516		-5.645		-74.18		Yes		8/18/25 9:37		RTK		32		1.09		0.54		0.94		9572		-1339		Yes		RTK		3D		0.6		110		1.64		1.27		0.787		4.15				WME		Water Meter

		UP2128		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2128		8/18/25 9:37		3726'11.4395"N		797'40.7861"W		55.863		362525.419		0.001		UNKNOWN		66		512		CLASSIC		OMNI PEAK		140		100		100		-2		10		11.752		-5.214		61.557		Yes		8/18/25 9:37		RTK		32		1.13		0.55		0.99		9581		-1339		Yes		RTK		3D		1		110		0.512		0.433		0.433		1.341				WME		Water Meter

		UP2129		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2129		8/18/25 9:38		3726'10.7163"N		797'42.0100"W		122.893		362648.313		0		UNKNOWN		43		512		CLASSIC		OMNI PEAK		140		100		100		-4		7		7.927		-2.973		-61.098		Yes		8/18/25 9:38		RTK		31		1.13		0.55		0.99		9498		-1339		Yes		RTK		3D		2		110		1.913		1.512		0.906		4.877				WME		Water Meter

		UP2130		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2130		8/18/25 9:39		3726'10.4408"N		797'41.4180"W		55.275		362703.588		0		UNKNOWN		11		512		CLASSIC		OMNI PEAK		140		100		100		15		9		12.268		3.536		-69.183		Yes		8/18/25 9:39		RTK		31		1.13		0.55		0.99		9493		-1339		Yes		RTK		3D		1.2		110		1.388		1.157		0.748		3.615				WME		Water Meter

		UP2131		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2131		8/18/25 9:41		3726'9.8905"N		797'41.9048"W		68.225		362771.813		0.001		UNKNOWN		80		512		CLASSIC		OMNI PEAK		140		100		100		7		6		14.788		0.074		64.257		Yes		8/18/25 9:41		RTK		31		1.12		0.55		0.97		9427		-1339		Yes		RTK		3D		1.2		110		0.472		0.433		0.394		1.282				WME		Water Meter

		UP2132		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2132		8/18/25 9:41		3726'9.9528"N		797'42.8224"W		74.187		362846		0		UNKNOWN		20		512		CLASSIC		OMNI PEAK		140		100		100		17		9		7.036		2.835		-55.852		Yes		8/18/25 9:41		RTK		31		1.11		0.55		0.97		9384		-1339		Yes		RTK		3D		1.2		110		0.948		0.591		0.709		2.233				WME		Water Meter

		UP2133		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2133		8/18/25 9:42		3726'9.0639"N		797'42.9790"W		91.064		362937.064		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		0.013		100		21		9		10.61		0.065		-74.232		Yes		8/18/25 9:42		RTK		31		1.11		0.55		0.97		9305		-1339		Yes		RTK		3D		1.2		110		1.157		0.672		0.63		2.677				WME		Water Meter

		UP2134		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2134		8/18/25 9:42		3726'9.1290"N		797'43.9392"W		77.631		363014.695		0		UNKNOWN		27		512		CLASSIC		OMNI PEAK		140		100		100		-4		8		8.981		-5.551		51.311		Yes		8/18/25 9:42		RTK		31		1.11		0.55		0.96		9248		-1339		Yes		RTK		3D		1.6		110		0.948		0.85		0.709		2.546				WME		Water Meter

		UP2135		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2135		8/18/25 9:43		3726'8.3179"N		797'43.8925"W		82.372		363097.066		0		UNKNOWN		1		512		CLASSIC		OMNI PEAK		140		100		100		-50		5		10.733		2.273		90.67		Yes		8/18/25 9:43		RTK		31		1.11		0.55		0.96		9199		-1339		Yes		RTK		3D		1.2		110		1.05		0.759		0.63		2.59				WME		Water Meter

		UP2136		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2136		8/18/25 9:44		3726'8.5164"N		797'44.8597"W		80.475		363177.541		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		0.003		100		3		7		19.241		-0.639		36.304		Yes		8/18/25 9:44		RTK		31		1.1		0.55		0.95		9128		-1339		Yes		RTK		3D		1.6		110		1.774		1.157		0.787		4.237				WME		Water Meter

		UP2137		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2137		8/18/25 9:45		3726'7.3823"N		797'45.3288"W		121.101		363298.643		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		16.596		100		15		5		8.315		0.234		-12.165		Yes		8/18/25 9:45		RTK		32		1.09		0.55		0.94		8980		-1339		Yes		RTK		3D		1.2		110		0.672		0.551		0.551		1.738				WME		Water Meter

		UP2138		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2138		8/18/25 9:46		3726'7.7558"N		797'45.9695"W		64.032		363362.674		0		UNKNOWN		64		512		CLASSIC		OMNI PEAK		140		100		100		-2		12		16.897		2.059		-52.355		Yes		8/18/25 9:46		RTK		32		1.09		0.55		0.94		8973		-1339		Yes		RTK		3D		1.2		110		0.472		0.433		0.433		1.282				WME		Water Meter

		UP2139		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2139		8/18/25 9:50		3726'15.0028"N		797'40.0606"W		875.838		364238.512		0.001		UNKNOWN		58		512		CLASSIC		OMNI PEAK		140		100		100		3		6		7.386		2.928		-89.809		Yes		8/18/25 9:50		FLOAT RTK		32		1.07		0.55		0.91		9649		-1339		Yes		FLOAT RTK		3D		0.8		110		23.927		20.246		3.937		62.687				WME		Water Meter

		UP2140		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2140		8/18/25 9:50		3726'14.7454"N		797'40.9216"W		74.107		364312.62		0		UNKNOWN		26		512		CLASSIC		OMNI PEAK		140		100		100		5		8		12.513		1.951		49.388		Yes		8/18/25 9:50		RTK		32		1.13		0.58		0.97		9647		-1339		Yes		RTK		3D		1.4		110		1.05		0.512		0.63		2.336				WME		Water Meter

		UP2141		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2141		8/18/25 9:50		3726'15.3116"N		797'40.8882"W		57.506		364370.126		0		UNKNOWN		33		512		CLASSIC		OMNI PEAK		140		100		100		1		5		6.204		-0.5		-85.255		Yes		8/18/25 9:50		RTK		32		1.06		0.55		0.91		9613		-1339		Yes		RTK		3D		1.2		110		0.472		0.394		0.394		1.23				WME		Water Meter

		UP2142		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2142		8/18/25 9:51		3726'15.1017"N		797'41.9580"W		88.761		364458.886		0.009		UNKNOWN		1254		512		CLASSIC		OMNI PEAK		140		100		100		5		11		14.382		1.469		-5.065		Yes		8/18/25 9:51		RTK		31		1.12		0.58		0.96		9619		-1339		Yes		RTK		3D		1.4		110		0.551		0.472		0.472		1.452				WME		Water Meter

		UP2143		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2143		8/18/25 9:51		3726'15.9057"N		797'42.4271"W		89.9		364548.786		0		UNKNOWN		29		512		CLASSIC		OMNI PEAK		140		100		100		-6		8		7.878		3.542		-15.683		Yes		8/18/25 9:52		RTK		31		1.06		0.55		0.9		9537		-1339		Yes		RTK		3D		0.8		110		1.27		0.591		0.669		2.802				WME		Water Meter

		UP2144		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2144		8/18/25 9:52		3726'15.6693"N		797'43.1667"W		64.22		364613.006		0		UNKNOWN		16		512		CLASSIC		OMNI PEAK		140		100		100		-1		13		9.465		3.321		19.222		Yes		8/18/25 9:52		RTK		30		1.05		0.55		0.9		9557		-1339		Yes		RTK		3D		0.8		110		0.948		0.512		0.63		2.154				WME		Water Meter

		UP2145		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2145		8/18/25 9:52		3726'16.2216"N		797'43.1351"W		56.09		364669.096		0.001		UNKNOWN		93		512		CLASSIC		OMNI PEAK		140		100		100		-2		7		5.623		2.526		-67.757		Yes		8/18/25 9:52		RTK		30		1.05		0.55		0.89		9511		-1339		Yes		RTK		3D		0.8		110		1.64		1.05		0.787		3.895				WME		Water Meter

		UP2146		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2146		8/18/25 9:53		3726'15.9427"N		797'43.7383"W		56.232		364725.328		0.006		UNKNOWN		1171		512		CLASSIC		OMNI PEAK		140		100		100		21		10		14.359		-0.873		-34.254		Yes		8/18/25 9:53		RTK		31		1.05		0.56		0.89		9532		-1339		Yes		RTK		3D		1.4		110		1.512		0.672		0.787		3.309				WME		Water Meter

		UP2147		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2147		8/18/25 9:57		3726'17.4438"N		797'45.0223"W		184.086		364909.415		0		UNKNOWN		14		512		CLASSIC		OMNI PEAK		140		100		100		-1		8		12.792		-1.138		-49.749		Yes		8/18/25 9:57		FLOAT RTK		29		1.04		0.55		0.88		9470		-1339		Yes		FLOAT RTK		3D		1.6		110		20.246		16.749		3.78		52.552				WME		Water Meter

		UP2148		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2148		8/18/25 9:57		3726'17.2265"N		797'45.5662"W		49.046		364958.461		0.001		UNKNOWN		174		512		CLASSIC		OMNI PEAK		140		100		100		0		8		10.047		-2.614		49.338		Yes		8/18/25 9:57		RTK		30		1.03		0.55		0.88		9400		-1339		Yes		RTK		3D		1.2		110		0.551		0.374		0.394		1.332				WME		Water Meter

		UP2149		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2149		8/18/25 9:58		3726'17.7545"N		797'46.3359"W		81.932		365040.392		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		-2		13		11.266		-1.952		-8.919		Yes		8/18/25 9:58		RTK		30		1.03		0.55		0.87		9342		-1339		Yes		RTK		3D		1.2		110		0.759		0.433		0.551		1.747				WME		Water Meter

		UP2150		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2150		8/18/25 9:58		3726'18.3234"N		797'46.2460"W		58.17		365098.563		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		-1		9		15.626		-7.529		-86.953		Yes		8/18/25 9:58		RTK		30		1.08		0.58		0.91		9349		-1339		Yes		RTK		3D		1.6		110		1.27		0.85		0.709		3.057				WME		Water Meter

		UP2151		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2151		8/18/25 9:59		3726'18.3578"N		797'47.1802"W		75.333		365173.896		0		UNKNOWN		13		512		CLASSIC		OMNI PEAK		140		100		100		0		5		4.77		-0.606		11.925		Yes		8/18/25 9:59		RTK		31		1.03		0.55		0.87		9306		-1339		Yes		RTK		3D		1.2		110		0.591		0.433		0.512		1.465				WME		Water Meter

		UP2152		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2152		8/18/25 10:00		3726'18.7877"N		797'46.8685"W		50.328		365224.223		0.001		UNKNOWN		41		512		CLASSIC		OMNI PEAK		140		100		100		-5		4		7.264		-6.218		48.483		Yes		8/18/25 10:00		FLOAT RTK		31		1.02		0.55		0.86		9334		-1339		Yes		FLOAT RTK		3D		2		110		4.233		4.049		0.787		11.716				WME		Water Meter

		UP2153		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2153		8/18/25 10:01		3726'19.7619"N		797'48.2626"W		149.59		365373.814		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		65.67		100		2		9		10.664		-2.118		60.494		Yes		8/18/25 10:01		RTK		31		1.02		0.55		0.86		9331		-1339		Yes		RTK		3D		1.2		110		0.672		0.551		0.433		1.738				WME		Water Meter

		UP2154		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2154		8/18/25 10:01		3726'20.2411"N		797'48.6198"W		56.5		365430.314		0		UNKNOWN		58		512		CLASSIC		OMNI PEAK		140		100		100		2		11		14.963		-0.283		51.07		Yes		8/18/25 10:01		FLOAT RTK		31		1.02		0.55		0.86		9343		-1339		Yes		FLOAT RTK		3D		1.4		110		9.387		6.81		1.299		23.194				WME		Water Meter

		UP2155		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2155		8/18/25 10:01		3726'20.1457"N		797'49.4997"W		71.538		365501.852		-0.003		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		-23		8		11.19		-0.867		19		Yes		8/18/25 10:02		FLOAT RTK		31		1.07		0.58		0.9		9282		-1339		Yes		FLOAT RTK		3D		1.8		110		23.927		12.884		3.189		54.351				WME		Water Meter

		UP2156		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2156		8/18/25 10:02		3726'19.5320"N		797'48.8227"W		82.762		365584.614		0.001		UNKNOWN		59		512		CLASSIC		OMNI PEAK		140		100		100		1		12		16.783		1.38		72.268		Yes		8/18/25 10:02		RTK		31		1.1		0.61		0.91		9290		-1339		Yes		RTK		3D		2.2		110		2.362		1.388		0.827		5.48				WME		Water Meter

		UP2157		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2157		8/18/25 10:02		3726'19.2208"N		797'48.4551"W		43.282		365627.896		0		UNKNOWN		4		512		CLASSIC		OMNI PEAK		140		100		100		4		7		6.1		0.036		-67.188		Yes		8/18/25 10:02		RTK		30		1.06		0.58		0.89		9284		-1339		Yes		RTK		3D		2		110		2.207		1.913		1.063		5.842				WME		Water Meter

		UP2158		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2158		8/18/25 10:43		3725'11.8445"N		797'49.6332"W		0		365627.896		0		UNKNOWN		24		512		CLASSIC		OMNI PEAK		140		100		100		19		7		18.417		-1.541		-62.543		Yes		8/18/25 10:43		RTK		32		1.1		0.69		0.86		9188		-1338		Yes		RTK		3D		1		341		0.672		0.512		0.512		1.689				WME		Water Meter

		UP2159		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2159		8/18/25 10:43		3725'11.9777"N		797'49.4024"W		22.995		365650.891		0		UNKNOWN		64		512		CLASSIC		OMNI PEAK		140		100		100		-3		7		15.253		-0.756		53.207		Yes		8/18/25 10:43		RTK		31		1.1		0.69		0.86		9197		-1338		Yes		RTK		3D		1.4		341		0.85		0.591		0.591		2.071				WME		Water Meter

		UP2160		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2160		8/18/25 10:44		3725'12.7185"N		797'50.7256"W		130.444		365781.335		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		4		9		12.902		-5.239		36.618		Yes		8/18/25 10:44		RTK		31		1.18		0.71		0.94		9256		-1338		Yes		RTK		3D		1		341		0.85		0.512		0.512		1.985				WME		Water Meter

		UP2161		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2161		8/18/25 10:44		3725'13.1199"N		797'51.4079"W		68.413		365849.748		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		10.221		100		17		7		12.899		-6.833		43.165		Yes		8/18/25 10:44		RTK		32		1.1		0.69		0.86		9259		-1338		Yes		RTK		3D		1		341		0.591		0.394		0.394		1.42				WME		Water Meter

		UP2162		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2162		8/18/25 10:45		3725'13.5517"N		797'52.2383"W		79.968		365929.716		0		UNKNOWN		5		512		CLASSIC		OMNI PEAK		140		100		100		-3		8		14.977		-8.979		62.597		Yes		8/18/25 10:45		RTK		32		1.1		0.69		0.86		9219		-1338		Yes		RTK		3D		0.4		341		0.759		0.551		0.512		1.875				WME		Water Meter

		UP2163		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2163		8/18/25 10:45		3725'13.8102"N		797'52.8163"W		53.45		365983.166		0		UNKNOWN		14		512		CLASSIC		OMNI PEAK		140		100		100		6		11		9.33		4.641		-53.27		Yes		8/18/25 10:45		RTK		32		1.1		0.69		0.85		9188		-1338		Yes		RTK		3D		1.2		341		1.512		1.27		0.866		3.949				WME		Water Meter

		UP2164		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2164		8/18/25 10:46		3725'13.3661"N		797'53.1789"W		53.694		366036.86		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		3		9		11.755		-1.252		-11.393		Yes		8/18/25 10:46		RTK		32		1.09		0.68		0.85		9161		-1338		Yes		RTK		3D		1.2		341		1.157		0.948		0.906		2.992				WME		Water Meter

		UP2165		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2165		8/18/25 10:46		3725'13.0752"N		797'53.4440"W		36.431		366073.292		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		38.074		100		-7		12		11.717		1.079		-66.012		Yes		8/18/25 10:46		RTK		32		1.09		0.68		0.85		9147		-1338		Yes		RTK		3D		1.2		341		0.591		0.551		0.551		1.616				WME		Water Meter

		UP2166		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2166		8/18/25 10:47		3725'12.0144"N		797'54.3948"W		132.107		366205.399		0.001		UNKNOWN		477		512		CLASSIC		OMNI PEAK		140		100		100		-2		10		16.503		-5.448		33.046		Yes		8/18/25 10:47		RTK		30		1.17		0.71		0.92		9068		-1338		Yes		RTK		3D		1		341		2.858		1.388		1.102		6.355				WME		Water Meter

		UP2167		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2167		8/18/25 10:47		3725'11.8282"N		797'53.9724"W		38.928		366244.327		0		UNKNOWN		3		512		CLASSIC		OMNI PEAK		140		100		100		2		9		17.727		-5.795		-22.892		Yes		8/18/25 10:47		RTK		32		1.17		0.71		0.92		9094		-1338		Yes		RTK		3D		1.2		341		0.85		0.672		0.63		2.168				WME		Water Meter

		UP2168		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2168		8/18/25 10:51		3725'10.5189"N		797'53.3381"W		142.318		366386.645		0		UNKNOWN		98		512		CLASSIC		OMNI PEAK		140		100		100		0		12		3.591		3.524		26.989		Yes		8/18/25 10:52		RTK		28		1.14		0.72		0.88		8929		-1338		Yes		RTK		3D		1		341		1.512		0.759		0.709		3.383				WME		Water Meter

		UP2169		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2169		8/18/25 10:52		3725'10.6259"N		797'53.5149"W		17.915		366404.56		0		UNKNOWN		24		512		CLASSIC		OMNI PEAK		140		100		100		-3		11		11.688		2.488		-57.408		Yes		8/18/25 10:52		RTK		29		1.07		0.69		0.81		8936		-1338		Yes		RTK		3D		0.8		341		0.759		0.672		0.669		2.027				WME		Water Meter

		UP2170		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2170		8/18/25 10:52		3725'10.4513"N		797'53.7191"W		24.177		366428.737		0.001		UNKNOWN		48		512		CLASSIC		OMNI PEAK		140		100		100		-3		3		9.879		1.512		-19.566		Yes		8/18/25 10:52		RTK		29		1.06		0.69		0.81		8931		-1338		Yes		RTK		3D		1.2		341		1.774		0.948		0.787		4.023				WME		Water Meter

		UP2171		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2171		8/18/25 10:52		3725'10.3049"N		797'53.4659"W		25.232		366453.969		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		17.553		100		3		7		8.71		2.473		76.497		Yes		8/18/25 10:52		RTK		29		1.06		0.69		0.81		8918		-1338		Yes		RTK		3D		0.4		341		1.913		1.512		1.024		4.877				WME		Water Meter

		UP2172		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2172		8/18/25 10:54		3725'11.7900"N		797'56.1781"W		265.429		366719.398		0.001		UNKNOWN		449		512		CLASSIC		OMNI PEAK		140		100		100		-2		10		12.035		-0.296		40.578		Yes		8/18/25 10:54		RTK		32		1.07		0.68		0.82		8979		-1338		Yes		RTK		3D		0.8		341		1.27		0.672		0.591		2.874				WME		Water Meter

		UP2173		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2173		8/18/25 10:54		3725'12.5638"N		797'56.9754"W		101.438		366820.835		-0.002		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		6		7		10.273		-1.977		6.624		Yes		8/18/25 10:54		RTK		32		1.09		0.71		0.83		8883		-1338		Yes		RTK		3D		1.2		341		1.388		1.157		0.866		3.615				WME		Water Meter

		UP2174		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2174		8/18/25 10:55		3725'12.8493"N		797'58.1188"W		96.572		366917.408		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		0		11		10.369		0.355		9.4		Yes		8/18/25 10:55		RTK		31		1.17		0.74		0.91		8715		-1338		Yes		RTK		3D		0.8		341		0.472		0.433		0.394		1.282				WME		Water Meter

		UP2175		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2175		8/18/25 10:58		3725'10.5185"N		797'55.2239"W		332.14		367249.548		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		41.062		100		-1		8		16.336		-4.443		23.919		Yes		8/18/25 10:58		RTK		31		1.23		0.76		0.97		8894		-1338		Yes		RTK		3D		1.2		341		1.64		1.157		1.102		4.015				WME		Water Meter

		UP2176		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2176		8/18/25 10:59		3725'9.6057"N		797'56.3794"W		131.312		367380.86		0		UNKNOWN		77		512		CLASSIC		OMNI PEAK		140		100		100		1		4		12.474		-4.907		-74.312		Yes		8/18/25 10:59		RTK		28		1.32		0.78		1.06		8643		-1338		Yes		RTK		3D		0.6		341		2.362		1.512		1.024		5.609				WME		Water Meter

		UP2177		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2177		8/18/25 10:59		3725'9.4850"N		797'56.4531"W		13.609		367394.469		0		UNKNOWN		4		512		CLASSIC		OMNI PEAK		140		100		100		0		13		10.189		0.852		77.963		Yes		8/18/25 10:59		RTK		29		1.32		0.78		1.06		8608		-1338		Yes		RTK		3D		1.2		341		1.64		1.157		0.866		4.015				WME		Water Meter

		UP2178		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2178		8/18/25 11:03		3725'6.6420"N		797'58.4637"W		330.809		367725.279		0		UNKNOWN		10		512		CLASSIC		OMNI PEAK		140		100		100		-1		10		20.159		0.64		-41.644		Yes		8/18/25 11:03		RTK		31		1.33		0.74		1.1		8687		-1338		Yes		RTK		3D		0.6		341		1.157		0.85		0.748		2.873				WME		Water Meter

		UP2179		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2179		8/18/25 11:03		3725'6.5015"N		797'59.0121"W		46.428		367771.707		0		UNKNOWN		43		512		CLASSIC		OMNI PEAK		140		100		100		6		9		13.283		-0.118		65.017		Yes		8/18/25 11:03		RTK		30		1.19		0.69		0.97		8692		-1338		Yes		RTK		3D		0.8		341		0.948		0.85		0.63		2.546				WME		Water Meter

		UP2180		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2180		8/18/25 11:05		3725'5.5378"N		797'57.7078"W		143.539		367915.246		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		90.823		100		2		9		8.28		-2.823		-44.722		Yes		8/18/25 11:05		RTK		31		1.07		0.64		0.85		8853		-1338		Yes		RTK		3D		0.8		341		0.759		0.672		0.551		2.027				WME		Water Meter

		UP2181		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2181		8/18/25 11:05		3725'5.2513"N		797'57.7612"W		29.389		367944.635		0		UNKNOWN		46		512		CLASSIC		OMNI PEAK		140		100		100		0		11		11.22		-4.7		-64.065		Yes		8/18/25 11:05		RTK		30		1.07		0.64		0.85		8890		-1338		Yes		RTK		3D		0.8		341		1.27		0.948		0.669		3.17				WME		Water Meter

		UP2182		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2182		8/18/25 11:06		3725'4.9030"N		797'57.0999"W		63.934		368008.569		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		63.767		100		5		8		13.321		-5.016		84.006		Yes		8/18/25 11:06		RTK		31		1.19		0.69		0.97		8903		-1338		Yes		RTK		3D		0.8		341		0.672		0.551		0.512		1.738				WME		Water Meter

		UP2183		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2183		8/18/25 11:06		3725'4.4645"N		797'56.2303"W		82.999		368091.568		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		9		9		15.368		-0.913		22.137		Yes		8/18/25 11:06		RTK		30		1.19		0.68		0.97		8877		-1338		Yes		RTK		3D		1		341		0.759		0.551		0.472		1.875				WME		Water Meter

		UP2184		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2184		8/18/25 11:10		3725'6.0313"N		797'59.4115"W		301.609		368393.177		0.002		UNKNOWN		69		512		CLASSIC		OMNI PEAK		140		100		100		-13		3		3.567		2.093		40.307		Yes		8/18/25 11:11		RTK		28		1.18		0.68		0.97		8760		-1338		Yes		RTK		3D		0.8		341		1.774		1.27		0.748		4.364				WME		Water Meter

		UP2185		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2185		8/18/25 11:11		3725'5.5455"N		797'59.4406"W		49.336		368442.513		0		UNKNOWN		11		512		CLASSIC		OMNI PEAK		140		100		100		-4		11		14.883		-0.169		44.829		Yes		8/18/25 11:11		RTK		28		1.18		0.68		0.97		8808		-1338		Yes		RTK		3D		1		341		0.85		0.759		0.551		2.279				WME		Water Meter

		UP2186		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2186		8/18/25 11:12		3725'4.5345"N		798'0.3671"W		126.867		368569.379		0		UNKNOWN		41		512		CLASSIC		OMNI PEAK		140		100		100		9		9		26.896		-4.094		-14.101		Yes		8/18/25 11:12		RTK		28		1.18		0.68		0.97		8736		-1338		Yes		RTK		3D		0.8		341		0.591		0.551		0.472		1.616				WME		Water Meter

		UP2187		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2187		8/18/25 11:12		3725'4.5269"N		798'0.7865"W		33.799		368603.179		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		37.168		100		70		7		16.027		-6.532		79.071		Yes		8/18/25 11:12		RTK		26		1.32		0.73		1.1		8709		-1338		Yes		RTK		3D		1.4		341		0.433		0.378		0.394		1.15				WME		Water Meter

		UP2188		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2188		8/18/25 11:12		3725'4.2319"N		798'1.0711"W		37.702		368640.881		0		UNKNOWN		2		512		CLASSIC		OMNI PEAK		140		100		100		-4		10		14.844		-4.613		-57.314		Yes		8/18/25 11:12		RTK		28		1.18		0.68		0.97		8663		-1338		Yes		RTK		3D		1.4		341		1.774		1.05		0.787		4.123				WME		Water Meter

		UP2189		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2189		8/18/25 11:12		3725'4.2136"N		798'1.0715"W		1.857		368642.738		0		UNKNOWN		7		512		CLASSIC		OMNI PEAK		140		100		100		39		9		17.336		-1.704		-62.793		Yes		8/18/25 11:12		RTK		28		1.18		0.68		0.97		8659		-1338		Yes		RTK		3D		1.6		341		1.512		1.512		0.709		4.276				WME		Water Meter

		UP2190		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2190		8/18/25 11:13		3725'3.3485"N		798'1.9007"W		110.298		368753.036		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		84.067		100		0		12		8.991		4.759		-41.922		Yes		8/18/25 11:13		RTK		28		1.18		0.68		0.97		8547		-1338		Yes		RTK		3D		0.8		341		1.388		0.85		0.709		3.256				WME		Water Meter

		UP2191		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2191		8/18/25 11:13		3725'3.0715"N		798'2.1962"W		36.834		368789.871		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		93.394		100		0		12		8.247		0.686		-83.876		Yes		8/18/25 11:13		RTK		28		1.18		0.68		0.97		8507		-1338		Yes		RTK		3D		0.6		341		1.157		1.157		0.63		3.274				WME		Water Meter

		UP2192		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2192		8/18/25 11:14		3725'2.3276"N		798'2.5213"W		79.885		368869.756		0		UNKNOWN		158		512		CLASSIC		OMNI PEAK		140		100		100		3		11		16.545		3.55		-22.649		Yes		8/18/25 11:14		RTK		28		1.18		0.68		0.97		8351		-1338		Yes		RTK		3D		0.4		341		2.058		1.05		0.63		4.62				WME		Water Meter

		UP2193		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2193		8/18/25 11:14		3725'2.3112"N		798'2.5482"W		2.733		368872.489		0		UNKNOWN		398		512		CLASSIC		OMNI PEAK		140		71.834		100		-1		13		16.981		-5.796		51.446		Yes		8/18/25 11:14		RTK		28		1.18		0.68		0.96		8348		-1338		Yes		RTK		3D		1		341		1.64		1.27		0.748		4.15				WME		Water Meter

		UP2194		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2194		8/18/25 11:15		3725'3.0915"N		798'0.6056"W		175.408		369047.897		0		UNKNOWN		6		512		CLASSIC		OMNI PEAK		140		100		100		12		9		10.832		-0.499		3.536		Yes		8/18/25 11:15		FLOAT RTK		26		1.18		0.68		0.96		8621		-1338		Yes		FLOAT RTK		3D		1.4		341		10.491		7.362		1.339		25.633				WME		Water Meter

		UP2195		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2195		8/18/25 11:15		3725'3.0823"N		798'0.5888"W		1.641		369049.538		0		UNKNOWN		123		512		CLASSIC		OMNI PEAK		140		65.532		100		-9		9		8.845		7.247		-4.312		Yes		8/18/25 11:15		RTK		27		1.18		0.68		0.96		8639		-1338		Yes		RTK		3D		1.6		341		1.64		1.27		0.669		4.15				WME		Water Meter

		UP2196		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2196		8/18/25 11:16		3725'3.1835"N		798'0.4080"W		17.826		369067.364		0.002		UNKNOWN		603		512		CLASSIC		OMNI PEAK		140		100		100		12		4		25.868		0.853		68.946		Yes		8/18/25 11:16		FLOAT RTK		28		1.18		0.68		0.96		8659		-1338		Yes		FLOAT RTK		3D		1.6		341		17.117		12.884		2.677		42.848				WME		Water Meter

		UP2197		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2197		8/18/25 11:16		3725'2.5487"N		797'59.8285"W		79.537		369146.901		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		-25		7		12.708		-2.083		45.914		Yes		8/18/25 11:16		RTK		28		1.18		0.68		0.96		8620		-1338		Yes		RTK		3D		1.4		341		1.388		1.157		0.669		3.615				WME		Water Meter

		UP2198		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2198		8/18/25 11:17		3725'2.0168"N		797'58.5005"W		119.843		369266.744		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		0		12		10.433		-4.489		-29.951		Yes		8/18/25 11:17		RTK		27		1.18		0.68		0.96		8594		-1338		Yes		RTK		3D		0.8		341		1.512		0.85		0.669		3.469				WME		Water Meter

		UP2199		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2199		8/18/25 11:17		3725'2.2633"N		797'58.3631"W		27.35		369294.093		0		UNKNOWN		1		512		CLASSIC		OMNI PEAK		140		100		100		-2		9		8.768		-5.008		35.182		Yes		8/18/25 11:17		FLOAT RTK		27		1.18		0.68		0.96		8666		-1338		Yes		FLOAT RTK		3D		1		341		15.829		9.387		2.008		36.806				WME		Water Meter

		UP2200		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2200		8/18/25 11:24		3725'0.6628"N		797'58.2534"W		162.615		369456.708		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		27.179		100		-35		8		21.039		-1.603		-86.557		Yes		8/18/25 11:24		RTK		29		1.17		0.68		0.96		8396		-1338		Yes		RTK		3D		0.6		341		1.774		1.05		0.63		4.123				WME		Water Meter

		UP2201		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2201		8/18/25 11:26		3724'58.9084"N		797'59.3267"W		197.875		369654.583		-0.013		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		2		11		14.582		4.762		-17.461		Yes		8/18/25 11:26		RTK		29		1.31		0.75		1.08		8415		-1338		Yes		RTK		3D		0.6		341		2.858		2.688		0.945		7.847				WME		Water Meter

		UP2202		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2202		8/18/25 11:26		3724'58.9484"N		797'59.8400"W		41.558		369696.141		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		71.146		100		21		8		16.877		-4.992		76.615		Yes		8/18/25 11:26		RTK		28		1.17		0.67		0.96		8421		-1338		Yes		RTK		3D		1.4		341		2.688		2.362		0.945		7.156				WME		Water Meter

		UP2203		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2203		8/18/25 11:26		3724'58.9300"N		797'59.8496"W		2.025		369698.167		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		78.679		100		-29		8		24.529		-2.67		42.792		Yes		8/18/25 11:26		RTK		28		1.17		0.67		0.96		8417		-1338		Yes		RTK		3D		1.4		341		2.858		1.512		0.866		6.467				WME		Water Meter

		UP2204		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2204		8/18/25 11:26		3724'58.9250"N		797'59.8706"W		1.769		369699.936		0		UNKNOWN		42		512		CLASSIC		OMNI PEAK		140		100		100		1		11		12.633		-10.924		56.426		Yes		8/18/25 11:26		RTK		27		1.31		0.75		1.08		8420		-1338		Yes		RTK		3D		0.6		341		1.157		0.672		0.551		2.677				WME		Water Meter

		UP2205		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2205		8/18/25 11:27		3724'58.2478"N		798'0.1633"W		72.637		369772.573		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		20.824		100		0		10		33.079		-9.929		8.524		Yes		8/18/25 11:27		FLOAT RTK		29		1.17		0.67		0.96		8560		-1338		Yes		FLOAT RTK		3D		1.4		341		22.087		20.246		3.583		59.924				WME		Water Meter

		UP2206		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2206		8/18/25 11:27		3724'58.2250"N		798'0.2051"W		4.089		369776.662		0		UNKNOWN		10		512		CLASSIC		OMNI PEAK		140		100		100		-1		10		41.967		-7.16		72.303		Yes		8/18/25 11:27		FLOAT RTK		29		1.17		0.67		0.96		8564		-1338		Yes		FLOAT RTK		3D		1.2		341		22.087		18.406		3.15		57.501				WME		Water Meter

		UP2207		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2207		8/18/25 11:27		3724'58.3332"N		798'0.5143"W		27.229		369803.891		0		UNKNOWN		17		512		CLASSIC		OMNI PEAK		140		100		100		-6		12		14.641		5.245		-8.476		Yes		8/18/25 11:27		FLOAT RTK		29		1.3		0.71		1.09		8574		-1338		Yes		FLOAT RTK		3D		1.2		341		29.449		27.608		4.331		80.733				WME		Water Meter

		UP2208		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2208		8/18/25 11:27		3724'58.0742"N		798'0.3579"W		29.146		369833.037		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		83.851		100		-4		10		24.08		-10.198		-39.117		Yes		8/18/25 11:27		FLOAT RTK		29		1.3		0.71		1.09		8607		-1338		Yes		FLOAT RTK		3D		1.6		341		23.927		20.246		3.937		62.687				WME		Water Meter

		UP2209		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2209		8/18/25 11:29		3724'57.6520"N		798'1.4229"W		95.907		369928.944		0		UNKNOWN		31		512		CLASSIC		OMNI PEAK		140		100		100		15		6		8.043		4.437		51.872		Yes		8/18/25 11:29		RTK		29		1.3		0.7		1.09		8805		-1338		Yes		RTK		3D		1.2		341		3.79		2.858		1.024		9.494				WME		Water Meter

		UP2210		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2210		8/18/25 11:30		3724'57.4590"N		798'2.6104"W		97.673		370026.617		0		UNKNOWN		12		512		CLASSIC		OMNI PEAK		140		100		100		2		12		13.386		-4.024		24.674		Yes		8/18/25 11:30		RTK		28		1.2		0.67		1		8975		-1338		Yes		RTK		3D		0.4		341		0.551		0.512		0.394		1.504				WME		Water Meter

		UP2211		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2211		8/18/25 11:31		3724'58.0636"N		798'3.2447"W		79.844		370106.461		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		17.215		100		17		6		8.037		0.104		-86.418		Yes		8/18/25 11:31		RTK		28		1.2		0.67		1		8925		-1338		Yes		RTK		3D		0.8		341		1.157		0.85		0.551		2.873				WME		Water Meter

		UP2212		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2212		8/18/25 11:31		3724'58.3945"N		798'3.6412"W		46.34		370152.8		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		24.056		100		5		11		12.74		-6.924		53.322		Yes		8/18/25 11:31		RTK		28		1.2		0.67		1		8883		-1338		Yes		RTK		3D		1.8		341		0.759		0.672		0.472		2.027				WME		Water Meter

		UP2213		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2213		8/18/25 11:31		3724'58.3748"N		798'3.6299"W		2.195		370154.995		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		79.689		100		-2		12		9.401		-3.658		-18.958		Yes		8/18/25 11:31		RTK		28		1.21		0.67		1		8884		-1338		Yes		RTK		3D		1.8		341		2.207		1.774		0.827		5.664				WME		Water Meter

		UP2214		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2214		8/18/25 11:31		3724'58.2836"N		798'3.9317"W		26.016		370181.011		0		UNKNOWN		13		512		CLASSIC		OMNI PEAK		140		100		100		18		6		20.543		-1.642		50.324		Yes		8/18/25 11:31		FLOAT RTK		28		1.21		0.67		1		8887		-1338		Yes		FLOAT RTK		3D		0.8		341		3.129		2.209		0.394		7.66				WME		Water Meter

		UP2215		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2215		8/18/25 11:31		3724'58.3077"N		798'3.9929"W		5.505		370186.516		0		UNKNOWN		15		512		CLASSIC		OMNI PEAK		140		100		100		44		7		16.883		-4.453		-40.749		Yes		8/18/25 11:31		RTK		28		1.21		0.67		1		8876		-1338		Yes		RTK		3D		0.4		341		0.759		0.591		0.394		1.923				WME		Water Meter

		UP2216		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2216		8/18/25 11:32		3724'57.3588"N		798'2.9543"W		127.556		370314.072		0		UNKNOWN		13		512		CLASSIC		OMNI PEAK		140		100		100		0		12		9.822		-5.444		-85.779		Yes		8/18/25 11:32		RTK		29		1.21		0.67		1		9016		-1338		Yes		RTK		3D		0.6		341		1.27		1.05		0.63		3.296				WME		Water Meter

		UP2217		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2217		8/18/25 11:34		3724'53.2388"N		798'1.2825"W		439.142		370753.214		0		UNKNOWN		11		512		CLASSIC		OMNI PEAK		140		100		100		0		6		12.509		0.989		-19.14		Yes		8/18/25 11:34		RTK		29		1.29		0.7		1.08		8771		-1338		Yes		RTK		3D		1.4		341		1.27		0.85		0.63		3.057				WME		Water Meter

		UP2218		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2218		8/18/25 11:34		3724'53.3669"N		798'1.0622"W		21.997		370775.212		0		UNKNOWN		10		512		CLASSIC		OMNI PEAK		140		100		100		4		10		20.031		-2.526		-2.548		Yes		8/18/25 11:34		RTK		29		1.29		0.7		1.08		8782		-1338		Yes		RTK		3D		0.8		341		0.512		0.472		0.394		1.393				WME		Water Meter

		UP2219		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2219		8/18/25 11:35		3724'53.3891"N		798'1.0845"W		2.878		370778.089		0		UNKNOWN		62		512		CLASSIC		OMNI PEAK		140		100		100		-4		11		12.731		-4.214		-74.544		Yes		8/18/25 11:35		RTK		29		1.29		0.7		1.08		8783		-1338		Yes		RTK		3D		1.2		341		0.85		0.672		0.512		2.168				WME		Water Meter

		UP2220		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2220		8/18/25 11:39		3724'56.4283"N		798'1.5142"W		310.273		371088.362		0		UNKNOWN		76		512		CLASSIC		OMNI PEAK		140		100		100		0		12		16.097		-3.078		70.322		Yes		8/18/25 11:39		RTK		29		1.18		0.67		0.97		8982		-1338		Yes		RTK		3D		1.6		341		0.591		0.472		0.394		1.513				WME		Water Meter

		UP2221		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2221		8/18/25 11:40		3724'56.0844"N		798'1.5783"W		35.276		371123.639		0		UNKNOWN		19		512		CLASSIC		OMNI PEAK		140		100		100		-1		6		11.726		-0.478		-75.632		Yes		8/18/25 11:40		RTK		29		1.18		0.67		0.97		8992		-1338		Yes		RTK		3D		1.4		341		0.672		0.551		0.472		1.738				WME		Water Meter

		UP2222		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2222		8/18/25 11:41		3724'55.4752"N		798'0.5601"W		102.715		371226.354		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		42.316		100		0		12		19.051		-2.144		-68.862		Yes		8/18/25 11:41		RTK		29		1.28		0.69		1.07		8907		-1338		Yes		RTK		3D		0.8		341		0.472		0.394		0.394		1.23				WME		Water Meter

		UP2223		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2223		8/18/25 11:41		3724'54.9934"N		798'0.4726"W		49.383		371275.737		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		28.297		100		-1		10		17.295		-3.516		-87.59		Yes		8/18/25 11:41		RTK		29		1.28		0.69		1.07		8884		-1338		Yes		RTK		3D		1.2		341		0.591		0.512		0.433		1.563				WME		Water Meter

		UP2224		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2224		8/18/25 11:42		3724'54.6396"N		797'59.6395"W		76.118		371351.855		0		UNKNOWN		85		512		CLASSIC		OMNI PEAK		140		100		100		0		10		8.957		0.865		16.043		Yes		8/18/25 11:42		RTK		29		1.18		0.67		0.97		8754		-1338		Yes		RTK		3D		1.8		341		1.64		1.27		0.669		4.15				WME		Water Meter

		UP2225		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2225		8/18/25 11:42		3724'54.0578"N		797'59.5834"W		59.195		371411.05		0		UNKNOWN		27		512		CLASSIC		OMNI PEAK		140		100		100		0		10		28.767		-11.246		11.949		Yes		8/18/25 11:42		RTK		29		1.18		0.67		0.97		8709		-1338		Yes		RTK		3D		1.2		341		0.472		0.433		0.394		1.282				WME		Water Meter

		UP2226		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2226		8/18/25 11:43		3724'53.7439"N		797'59.0275"W		54.96		371466.01		0		UNKNOWN		18		512		CLASSIC		OMNI PEAK		140		100		100		0		12		19.041		-0.052		15.335		Yes		8/18/25 11:43		RTK		26		1.18		0.67		0.97		8531		-1338		Yes		RTK		3D		1.2		341		0.759		0.591		0.433		1.923				WME		Water Meter

		UP2227		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2227		8/18/25 11:47		3725'1.5384"N		797'56.6617"W		813.418		372279.428		0		UNKNOWN		11		512		CLASSIC		OMNI PEAK		140		100		100		-7		8		25.948		3.49		41.488		Yes		8/18/25 11:47		FLOAT RTK		28		1.4		0.73		1.19		8402		-1338		Yes		FLOAT RTK		3D		0.8		341		7.178		3.497		1.142		15.969				WME		Water Meter

		UP2228		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2228		8/18/25 11:48		3725'0.7773"N		797'55.8482"W		101.29		372380.717		0		UNKNOWN		14		512		CLASSIC		OMNI PEAK		140		100		100		-27		9		9.494		-8.358		19.418		Yes		8/18/25 11:48		RTK		27		1.39		0.73		1.19		8253		-1338		Yes		RTK		3D		1.4		341		0.512		0.472		0.394		1.393				WME		Water Meter

		UP2229		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2229		8/18/25 11:49		3725'0.8111"N		797'55.3401"W		41.085		372421.802		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		36.746		100		-11		4		22.415		-2.766		-33.075		Yes		8/18/25 11:49		FLOAT RTK		28		1.39		0.73		1.19		8319		-1338		Yes		FLOAT RTK		3D		1.4		341		22.087		16.013		3.74		54.561				WME		Water Meter

		UP2230		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2230		8/18/25 11:50		3724'59.7934"N		797'54.1008"W		143.633		372565.436		0		UNKNOWN		5		512		CLASSIC		OMNI PEAK		140		100		100		14		10		11.866		6.442		-81.503		Yes		8/18/25 11:50		RTK		28		1.39		0.72		1.19		8251		-1338		Yes		RTK		3D		1.4		341		1.27		1.27		0.669		3.593				WME		Water Meter

		UP2231		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2231		8/18/25 11:51		3725'0.1682"N		797'53.9960"W		38.952		372604.388		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		48.944		100		-125		8		11.717		-4.774		-57.259		Yes		8/18/25 11:51		RTK		28		1.39		0.72		1.18		8281		-1338		Yes		RTK		3D		1.2		341		1.157		0.759		0.472		2.768				WME		Water Meter

		UP2232		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2232		8/18/25 13:25		3725'2.5013"N		797'56.2863"W		300.134		372904.522		0		UNKNOWN		19		512		CLASSIC		OMNI PEAK		140		100		100		-2		10		15.882		0.204		-36.994		Yes		8/18/25 13:25		RTK		30		1.27		0.72		1.04		8551		-1338		Yes		RTK		3D		1.4		491		1.157		0.672		0.551		2.677				WME		Water Meter

		UP2233		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2233		8/18/25 13:26		3725'2.4365"N		797'56.8829"W		48.513		372953.035		-0.005		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		-3		11		20.533		2.459		60.405		Yes		8/18/25 13:26		RTK		30		1.49		0.81		1.24		8578		-1338		Yes		RTK		3D		1.4		491		1.913		1.512		1.181		4.877				WME		Water Meter

		UP2234		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2234		8/18/25 13:26		3725'2.9277"N		797'55.7148"W		106.498		373059.533		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		20.741		100		6		2		15.136		-0.131		44.26		Yes		8/18/25 13:26		RTK		27		1.28		0.75		1.04		8604		-1338		Yes		RTK		3D		0.6		491		3.034		1.913		1.496		7.174				WME		Water Meter

		UP2235		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2235		8/18/25 13:29		3725'4.9498"N		797'54.6889"W		221.166		373280.699		0		UNKNOWN		245		512		CLASSIC		OMNI PEAK		140		100		100		-47		6		17.631		-16.742		16.362		Yes		8/18/25 13:29		RTK		29		1.25		0.7		1.04		8829		-1338		Yes		RTK		3D		1.4		491		0.759		0.512		0.551		1.83				WME		Water Meter

		UP2236		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2236		8/18/25 13:30		3725'3.6555"N		797'54.6155"W		131.444		373412.144		0.001		UNKNOWN		67		512		CLASSIC		OMNI PEAK		140		100		100		7		12		11.259		5.532		59.585		Yes		8/18/25 13:30		RTK		30		1.24		0.69		1.03		8705		-1338		Yes		RTK		3D		0.8		491		0.948		0.512		0.748		2.154				WME		Water Meter

		UP2237		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2237		8/18/25 13:31		3725'3.5920"N		797'53.9378"W		54.979		373467.123		0		UNKNOWN		9		512		CLASSIC		OMNI PEAK		140		100		100		10		12		14.921		-2.936		-88.122		Yes		8/18/25 13:31		RTK		30		1.25		0.69		1.04		8759		-1338		Yes		RTK		3D		1		491		1.27		0.85		0.748		3.057				WME		Water Meter

		UP2238		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2238		8/18/25 13:31		3725'2.8393"N		797'52.9638"W		109.501		373576.624		0		UNKNOWN		10		512		CLASSIC		OMNI PEAK		140		100		100		80		10		15.333		-0.083		19.241		Yes		8/18/25 13:31		RTK		30		1.25		0.69		1.04		8755		-1338		Yes		RTK		3D		1		491		0.591		0.394		0.472		1.42				WME		Water Meter

		UP2239		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2239		8/18/25 13:32		3725'2.2503"N		797'51.1491"W		157.964		373734.588		0.009		UNKNOWN		61		512		CLASSIC		OMNI PEAK		140		100		100		3		7		11.81		2.883		-78.684		Yes		8/18/25 13:32		RTK		32		1.25		0.69		1.04		8742		-1338		Yes		RTK		3D		0.4		491		0.759		0.394		0.472		1.709				WME		Water Meter

		UP2240		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2240		8/18/25 13:38		3725'1.0615"N		797'51.7580"W		130.203		373864.791		-0.001		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		22		4		22.222		-4.7		17.211		Yes		8/18/25 13:38		RTK		31		1.15		0.6		0.98		8617		-1338		Yes		RTK		3D		1		491		0.85		0.672		0.512		2.168				WME		Water Meter

		UP2241		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2241		8/18/25 13:38		3725'1.0983"N		797'51.1866"W		46.193		373910.983		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		50.855		100		30		7		19.66		6.155		57.79		Yes		8/18/25 13:38		RTK		32		1.15		0.6		0.98		8658		-1338		Yes		RTK		3D		0.6		491		0.85		0.591		0.63		2.071				WME		Water Meter

		UP2242		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2242		8/18/25 13:39		3725'0.7114"N		797'51.4113"W		43.227		373954.21		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		27.805		100		-20		4		14.742		-1.527		24.286		Yes		8/18/25 13:39		RTK		32		1.16		0.6		0.99		8619		-1338		Yes		RTK		3D		0.8		491		1.774		1.27		0.709		4.364				WME		Water Meter

		UP2243		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2243		8/18/25 13:39		3725'0.1756"N		797'52.2374"W		85.94		374040.15		0.001		UNKNOWN		41		512		CLASSIC		OMNI PEAK		140		100		100		6		2		14.623		-4.884		-58.621		Yes		8/18/25 13:40		RTK		30		1.22		0.62		1.05		8531		-1338		Yes		RTK		3D		1.8		491		1.05		0.672		0.669		2.493				WME		Water Meter

		UP2244		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2244		8/18/25 13:41		3724'59.1572"N		797'52.2592"W		103.333		374143.483		0.001		UNKNOWN		67		512		CLASSIC		OMNI PEAK		140		100		100		-5		8		14.298		0.025		35.682		Yes		8/18/25 13:42		RTK		32		1.08		0.56		0.92		8449		-1338		Yes		RTK		3D		1.8		491		0.948		0.591		0.63		2.233				WME		Water Meter

		UP2245		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2245		8/18/25 13:42		3724'59.0657"N		797'52.3017"W		9.895		374153.378		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		97		10		8.705		3.055		44.179		Yes		8/18/25 13:42		RTK		32		1.08		0.56		0.92		8441		-1338		Yes		RTK		3D		0.4		491		1.05		0.672		0.551		2.493				WME		Water Meter

		UP2246		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2246		8/18/25 13:42		3724'58.8642"N		797'52.9147"W		53.454		374206.832		0.001		UNKNOWN		97		512		CLASSIC		OMNI PEAK		140		100		100		3		5		13.863		-0.846		62.47		Yes		8/18/25 13:42		RTK		32		1.08		0.56		0.93		8416		-1338		Yes		RTK		3D		1		491		0.948		0.551		0.63		2.192				WME		Water Meter

		UP2247		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2247		8/18/25 13:43		3724'56.3971"N		797'52.9769"W		250.332		374457.165		0.001		UNKNOWN		200		512		CLASSIC		OMNI PEAK		140		100		100		2		9		15.822		1.237		-77.446		Yes		8/18/25 13:43		RTK		31		1.1		0.56		0.94		8129		-1338		Yes		RTK		3D		1.2		491		0.672		0.472		0.472		1.643				WME		Water Meter

		UP2248		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2248		8/18/25 13:44		3724'55.4227"N		797'53.1086"W		99.421		374556.585		0.001		UNKNOWN		46		512		CLASSIC		OMNI PEAK		140		100		100		2		3		16.946		-4.198		-86.126		Yes		8/18/25 13:44		RTK		31		1.19		0.6		1.03		8030		-1338		Yes		RTK		3D		1.4		491		1.157		0.948		0.748		2.992				WME		Water Meter

		UP2249		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2249		8/18/25 13:45		3724'54.5865"N		797'53.4713"W		89.729		374646.314		0		UNKNOWN		46		512		CLASSIC		OMNI PEAK		140		100		100		-3		7		19.342		-3.095		62.809		Yes		8/18/25 13:45		RTK		31		1.19		0.6		1.03		7942		-1338		Yes		RTK		3D		0.8		491		0.551		0.512		0.433		1.504				WME		Water Meter

		UP2250		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2250		8/18/25 13:46		3724'52.7509"N		797'53.6716"W		186.918		374833.232		0		UNKNOWN		28		512		CLASSIC		OMNI PEAK		140		100		100		0		11		16.809		-2.685		-15.782		Yes		8/18/25 13:46		RTK		31		1.2		0.6		1.04		7906		-1338		Yes		RTK		3D		1.2		491		2.058		0.85		0.787		4.453				WME		Water Meter

		UP2251		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2251		8/18/25 13:47		3724'52.3479"N		797'53.7286"W		41.142		374874.374		0		UNKNOWN		10		512		CLASSIC		OMNI PEAK		140		100		100		-2		11		10.738		6.394		-23.263		Yes		8/18/25 13:47		RTK		31		1.2		0.6		1.04		7871		-1338		Yes		RTK		3D		1.6		491		0.759		0.512		0.709		1.83				WME		Water Meter

		UP2252		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2252		8/18/25 13:49		3725'2.0077"N		797'50.6376"W		1011.139		375885.513		0		UNKNOWN		13		512		CLASSIC		OMNI PEAK		140		100		100		5		10		13.846		-3.257		62.491		Yes		8/18/25 13:49		RTK		31		1.12		0.56		0.97		8776		-1338		Yes		RTK		3D		1.4		491		0.948		0.512		0.551		2.154				WME		Water Meter

		UP2253		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2253		8/18/25 13:50		3725'2.7535"N		797'50.2170"W		82.903		375968.416		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		51.411		100		-3		8		25.013		-2.769		-15.964		Yes		8/18/25 13:50		RTK		30		1.15		0.57		1		8860		-1338		Yes		RTK		3D		0.8		491		0.591		0.433		0.472		1.465				WME		Water Meter

		UP2254		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2254		8/18/25 13:50		3725'3.6775"N		797'49.6886"W		102.956		376071.371		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		83.592		100		-21		7		18.573		-2.42		16.642		Yes		8/18/25 13:50		RTK		29		1.13		0.56		0.98		8956		-1338		Yes		RTK		3D		1.4		491		0.948		0.512		0.591		2.154				WME		Water Meter

		UP2255		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2255		8/18/25 13:51		3725'3.6242"N		797'50.0821"W		32.166		376103.537		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		51.876		100		22		10		9.849		-0.801		-38.148		Yes		8/18/25 13:51		RTK		29		1.13		0.56		0.98		8947		-1338		Yes		RTK		3D		1.4		491		0.672		0.472		0.472		1.643				WME		Water Meter

		UP2256		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2256		8/18/25 13:51		3725'3.8261"N		797'49.4951"W		51.542		376155.08		0		UNKNOWN		173		512		CLASSIC		OMNI PEAK		140		100		100		-2		13		9.422		1.678		26.373		Yes		8/18/25 13:51		RTK		29		1.13		0.56		0.98		8978		-1338		Yes		RTK		3D		1.6		491		0.672		0.472		0.512		1.643				WME		Water Meter

		UP2257		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2257		8/18/25 13:52		3725'4.6205"N		797'48.9954"W		90.091		376245.17		0		UNKNOWN		65		512		CLASSIC		OMNI PEAK		140		100		100		0		12		10.904		6.467		20.818		Yes		8/18/25 13:52		RTK		30		1.13		0.56		0.99		9032		-1338		Yes		RTK		3D		1		491		1.05		0.551		0.63		2.372				WME		Water Meter

		UP2258		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2258		8/18/25 13:53		3725'5.1763"N		797'48.8030"W		58.486		376303.656		0.001		UNKNOWN		435		512		CLASSIC		OMNI PEAK		140		100		100		1		8		16.904		-0.614		77.944		Yes		8/18/25 13:53		RTK		28		1.21		0.57		1.06		9056		-1338		Yes		RTK		3D		1		491		0.759		0.472		0.512		1.787				WME		Water Meter

		UP2259		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2259		8/18/25 13:53		3725'5.1550"N		797'48.4969"W		24.758		376328.415		-0.001		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		9		9		11.235		9.226		57.57		Yes		8/18/25 13:53		RTK		30		1.14		0.56		0.99		9053		-1338		Yes		RTK		3D		0.8		491		1.05		0.591		0.669		2.409				WME		Water Meter

		UP2260		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2260		8/18/25 13:53		3725'5.6375"N		797'48.0448"W		61.014		376389.429		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		50.245		100		-4		8		11.231		2.631		-85.388		Yes		8/18/25 13:53		RTK		31		1.14		0.56		0.99		9079		-1338		Yes		RTK		3D		1		491		0.551		0.386		0.433		1.346				WME		Water Meter

		UP2261		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2261		8/18/25 13:54		3725'6.0499"N		797'47.9745"W		42.214		376431.642		0		UNKNOWN		46		512		CLASSIC		OMNI PEAK		140		100		100		3		7		16.141		3.436		41.866		Yes		8/18/25 13:54		RTK		30		1.14		0.56		0.99		9104		-1338		Yes		RTK		3D		0.8		491		1.05		0.551		0.906		2.372				WME		Water Meter

		UP2262		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2262		8/18/25 13:54		3725'6.4784"N		797'47.1970"W		76.247		376507.889		0		UNKNOWN		93		512		CLASSIC		OMNI PEAK		140		100		100		20		9		15.079		2.715		-42.105		Yes		8/18/25 13:54		RTK		31		1.14		0.56		1		9089		-1339		Yes		RTK		3D		1.2		491		0.759		0.472		0.512		1.787				WME		Water Meter

		UP2263		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2263		8/18/25 13:57		3725'4.5221"N		797'45.7833"W		228.831		376736.721		0		UNKNOWN		5		512		CLASSIC		OMNI PEAK		140		100		100		-10		9		18.58		2.237		-10.397		Yes		8/18/25 13:57		RTK		31		1.15		0.56		1.01		8687		-1339		Yes		RTK		3D		1.2		491		0.948		0.472		0.551		2.118				WME		Water Meter

		UP2264		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2264		8/18/25 13:58		3725'2.7633"N		797'47.3270"W		217.511		376954.232		0		UNKNOWN		59		512		CLASSIC		OMNI PEAK		140		100		100		-10		8		1.855		0.627		43.625		Yes		8/18/25 13:58		RTK		32		1.15		0.56		1.01		8610		-1338		Yes		RTK		3D		1.2		491		0.948		0.472		0.551		2.118				WME		Water Meter

		UP2265		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2265		8/18/25 13:58		3725'2.0317"N		797'47.9579"W		89.956		377044.188		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		87.395		100		0		12		10.779		1.828		7.349		Yes		8/18/25 13:58		RTK		32		1.15		0.56		1.01		8592		-1338		Yes		RTK		3D		1		491		0.759		0.472		0.591		1.787				WME		Water Meter

		UP2266		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2266		8/18/25 14:01		3725'4.7312"N		797'50.0627"W		322.127		377366.315		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		45.561		100		21		6		10.826		1.969		16.703		Yes		8/18/25 14:01		RTK		31		1.16		0.56		1.01		9041		-1338		Yes		RTK		3D		1		491		0.759		0.472		0.551		1.787				WME		Water Meter

		UP2267		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2267		8/18/25 14:01		3725'4.9845"N		797'49.9217"W		28.096		377394.411		0		UNKNOWN		59		512		CLASSIC		OMNI PEAK		140		100		100		24		9		19.779		-4.788		84.683		Yes		8/18/25 14:01		RTK		31		1.16		0.56		1.01		9062		-1338		Yes		RTK		3D		1		491		0.512		0.378		0.433		1.272				WME		Water Meter

		UP2268		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2268		8/18/25 14:04		3725'5.2691"N		797'50.4448"W		51.093		377445.504		0.008		UNKNOWN		804		512		CLASSIC		OMNI PEAK		140		100		100		-40		10		15.452		0.16		-36.635		Yes		8/18/25 14:04		RTK		32		1.16		0.56		1.02		9082		-1338		Yes		RTK		3D		1.2		491		0.512		0.37		0.433		1.263				WME		Water Meter

		UP2269		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2269		8/18/25 14:04		3725'5.0274"N		797'50.6591"W		29.993		377475.496		0		UNKNOWN		6		512		CLASSIC		OMNI PEAK		140		100		100		-1		7		8.593		-1.328		77.478		Yes		8/18/25 14:04		RTK		32		1.16		0.56		1.02		9061		-1338		Yes		RTK		3D		0.6		491		0.759		0.433		0.512		1.747				WME		Water Meter

		UP2270		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2270		8/18/25 14:08		3725'6.0437"N		797'51.9970"W		149.169		377624.665		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		23.763		100		-1		6		16.308		-6.607		0.094		Yes		8/18/25 14:08		RTK		32		1.16		0.56		1.02		9012		-1338		Yes		RTK		3D		1.2		491		0.512		0.358		0.472		1.249				WME		Water Meter

		UP2271		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2271		8/18/25 14:09		3725'5.7465"N		797'52.0333"W		30.293		377654.958		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		13.205		100		7		7		14.286		2.7		63.145		Yes		8/18/25 14:09		RTK		32		1.16		0.56		1.02		9007		-1338		Yes		RTK		3D		1.2		491		0.672		0.433		0.551		1.599				WME		Water Meter

		UP2272		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2272		8/18/25 14:10		3725'6.8776"N		797'54.2242"W		210.539		377865.497		0		UNKNOWN		47		512		CLASSIC		OMNI PEAK		140		100		100		46		9		14.082		-0.888		-16.129		Yes		8/18/25 14:10		RTK		30		1.16		0.55		1.01		8923		-1338		Yes		RTK		3D		2		491		2.058		0.551		0.669		4.261				WME		Water Meter

		UP2273		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2273		8/18/25 14:10		3725'6.9496"N		797'53.8476"W		31.209		377896.706		0		UNKNOWN		36		512		CLASSIC		OMNI PEAK		140		100		100		4		8		14.066		0.119		-36.696		Yes		8/18/25 14:10		RTK		30		1.15		0.55		1.01		8941		-1338		Yes		RTK		3D		0.8		491		0.85		0.512		0.551		1.985				WME		Water Meter

		UP2274		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2274		8/18/25 14:11		3725'7.2364"N		797'54.3010"W		46.704		377943.41		0		UNKNOWN		29		512		CLASSIC		OMNI PEAK		140		100		100		36		9		9.59		0.097		-85.574		Yes		8/18/25 14:11		RTK		32		1.15		0.55		1.01		8904		-1338		Yes		RTK		3D		1.2		491		0.472		0.343		0.394		1.167				WME		Water Meter

		UP2275		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2275		8/18/25 14:11		3725'7.4424"N		797'54.7108"W		39.08		377982.49		0		UNKNOWN		33		512		CLASSIC		OMNI PEAK		140		100		100		3		7		9.513		-2.915		-87.704		Yes		8/18/25 14:11		RTK		31		1.16		0.56		1.01		8850		-1338		Yes		RTK		3D		0.8		491		0.948		0.512		0.63		2.154				WME		Water Meter

		UP2276		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2276		8/18/25 14:11		3725'7.2480"N		797'55.0168"W		31.573		378014.062		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		7.729		100		-7		12		13.859		4.615		63.924		Yes		8/18/25 14:11		RTK		31		1.25		0.57		1.12		8862		-1338		Yes		RTK		3D		0.4		491		0.551		0.472		0.512		1.452				WME		Water Meter

		UP2277		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2277		8/18/25 14:11		3725'7.4514"N		797'55.3132"W		31.556		378045.618		0.001		UNKNOWN		322		512		CLASSIC		OMNI PEAK		140		100		100		-8		9		13.504		-0.932		12.693		Yes		8/18/25 14:11		RTK		30		1.25		0.57		1.12		8814		-1338		Yes		RTK		3D		1		491		0.394		0.331		0.394		1.028				WME		Water Meter

		UP2278		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2278		8/18/25 14:12		3725'7.8543"N		797'55.4445"W		42.225		378087.844		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		75.582		100		-1		11		9.839		-5.854		79.723		Yes		8/18/25 14:12		RTK		30		1.29		0.58		1.15		8762		-1338		Yes		RTK		3D		1		491		1.157		0.672		0.748		2.677				WME		Water Meter

		UP2279		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2279		8/18/25 14:20		3725'7.9035"N		797'56.1305"W		55.5		378143.344		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		39.329		100		-17		10		17.313		-3.284		5.794		Yes		8/18/25 14:20		RTK		28		1.42		0.63		1.27		8663		-1338		Yes		RTK		3D		1.4		491		0.85		0.512		0.709		1.985				WME		Water Meter

		UP2280		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2280		8/18/25 14:27		3725'7.1747"N		797'52.2061"W		324.729		378468.073		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		0.852		100		-7		13		7.937		-1.467		65.165		Yes		8/18/25 14:27		RTK		31		1.22		0.54		1.09		8990		-1338		Yes		RTK		3D		0.4		491		0.759		0.512		0.669		1.83				WME		Water Meter

		UP2281		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2281		8/18/25 14:29		3725'7.6877"N		797'52.2968"W		52.559		378520.632		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		13.781		100		-1		6		10.557		4.011		-18.08		Yes		8/18/25 14:29		FLOAT RTK		31		1.21		0.54		1.08		9010		-1338		Yes		FLOAT RTK		3D		1.8		491		2.945		2.393		0.63		7.589				WME		Water Meter

		UP2282		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2282		8/18/25 14:29		3725'7.6054"N		797'51.7582"W		44.196		378564.828		0.001		UNKNOWN		66		512		CLASSIC		OMNI PEAK		140		100		100		-4		3		14.856		-7.218		-45.425		Yes		8/18/25 14:29		RTK		31		1.21		0.54		1.08		9009		-1338		Yes		RTK		3D		1.4		491		0.591		0.472		0.63		1.513				WME		Water Meter

		UP2283		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2283		8/18/25 14:29		3725'8.0959"N		797'51.9351"W		51.761		378616.589		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		52.179		100		20		6		4.932		2.844		64.292		Yes		8/18/25 14:29		RTK		31		1.21		0.54		1.08		9006		-1338		Yes		RTK		3D		1.2		491		0.759		0.433		0.591		1.747				WME		Water Meter

		UP2284		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2284		8/18/25 14:29		3725'8.1959"N		797'51.8507"W		12.211		378628.8		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		9		8		14.411		-4.958		-34.198		Yes		8/18/25 14:29		RTK		31		1.21		0.54		1.08		9006		-1338		Yes		RTK		3D		1.4		491		1.27		0.591		0.787		2.802				WME		Water Meter

		UP2285		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2285		8/18/25 14:30		3725'9.2175"N		797'51.6634"W		104.729		378733.529		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		-8		11		9.135		0.065		-58.876		Yes		8/18/25 14:30		RTK		29		1.2		0.57		1.06		8936		-1338		Yes		RTK		3D		1.4		491		0.948		0.472		0.591		2.118				WME		Water Meter

		UP2286		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2286		8/18/25 14:30		3725'9.1995"N		797'51.6256"W		3.549		378737.078		0		UNKNOWN		18		512		CLASSIC		OMNI PEAK		140		100		100		0		10		11.831		4.586		-4.516		Yes		8/18/25 14:30		RTK		29		1.18		0.54		1.05		8948		-1338		Yes		RTK		3D		3		491		2.688		0.948		0.748		5.7				WME		Water Meter

		UP2287		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2287		8/18/25 14:34		3725'9.4965"N		797'50.1050"W		126.168		378863.246		0.001		UNKNOWN		100		512		CLASSIC		OMNI PEAK		140		100		100		4		7		12.861		-4.618		-68.132		Yes		8/18/25 14:34		RTK		31		1.35		0.6		1.21		9035		-1338		Yes		RTK		3D		1.2		491		1.512		0.759		0.866		3.383				WME		Water Meter

		UP2288		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2288		8/18/25 14:35		3725'9.8658"N		797'49.8600"W		42.345		378905.591		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		61.176		100		-17		10		10.473		-0.302		-63.029		Yes		8/18/25 14:35		RTK		32		1.33		0.59		1.19		9025		-1338		Yes		RTK		3D		1.8		491		0.948		0.374		0.591		2.037				WME		Water Meter

		UP2289		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2289		8/18/25 14:35		3725'10.1188"N		797'49.6332"W		31.514		378937.106		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		20.643		100		-21		7		10.575		1.059		35.689		Yes		8/18/25 14:35		RTK		32		1.28		0.58		1.14		9035		-1338		Yes		RTK		3D		1.2		491		0.591		0.433		0.551		1.465				WME		Water Meter

		UP2290		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2290		8/18/25 14:35		3725'10.3357"N		797'50.1208"W		45.027		378982.132		0		UNKNOWN		67		512		CLASSIC		OMNI PEAK		140		100		100		9		11		6.794		5.185		-63.875		Yes		8/18/25 14:35		RTK		32		1.16		0.54		1.03		9024		-1338		Yes		RTK		3D		1.4		491		0.672		0.433		0.591		1.599				WME		Water Meter

		UP2291		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2291		8/18/25 14:35		3725'10.5713"N		797'49.9076"W		29.434		379011.567		0		UNKNOWN		14		512		CLASSIC		OMNI PEAK		140		100		100		3		8		16.105		0.724		-43.244		Yes		8/18/25 14:35		RTK		32		1.16		0.54		1.03		9043		-1338		Yes		RTK		3D		1.2		491		0.759		0.433		0.63		1.747				WME		Water Meter

		UP2292		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2292		8/18/25 14:36		3725'10.5883"N		797'49.2252"W		55.009		379066.576		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		32.195		100		29		8		7.96		-2.36		-37.518		Yes		8/18/25 14:36		RTK		32		1.16		0.56		1.02		9050		-1338		Yes		RTK		3D		0.6		491		1.157		0.472		0.669		2.5				WME		Water Meter

		UP2293		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2293		8/18/25 14:37		3725'12.1698"N		797'47.8048"W		197.084		379263.66		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		52.941		100		14		7		7.555		1.159		-68.753		Yes		8/18/25 14:37		RTK		32		1.28		0.6		1.13		9094		-1339		Yes		RTK		3D		1		491		1.913		0.672		0.945		4.056				WME		Water Meter

		UP2294		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2294		8/18/25 14:37		3725'12.5391"N		797'48.0035"W		40.739		379304.398		0		UNKNOWN		15		512		CLASSIC		OMNI PEAK		140		100		100		-2		7		22.325		0.957		-2.344		Yes		8/18/25 14:37		RTK		32		1.28		0.6		1.13		9126		-1338		Yes		RTK		3D		0.8		491		1.64		0.433		0.591		3.393				WME		Water Meter

		UP2295		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2295		8/18/25 14:37		3725'12.5381"N		797'48.0039"W		0.103		379304.502		0		UNKNOWN		18		512		CLASSIC		OMNI PEAK		140		100		100		3		12		26.947		2.947		38.87		Yes		8/18/25 14:37		RTK		32		1.28		0.62		1.13		9126		-1338		Yes		RTK		3D		1.2		491		0.759		0.394		0.512		1.709				WME		Water Meter

		UP2296		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2296		8/18/25 14:38		3725'12.9867"N		797'47.5719"W		57.288		379361.79		0		UNKNOWN		21		512		CLASSIC		OMNI PEAK		140		100		100		-5		9		33.973		4.154		-52.607		Yes		8/18/25 14:38		RTK		32		1.27		0.6		1.12		9097		-1339		Yes		RTK		3D		3.4		491		0.472		0.335		0.433		1.158				WME		Water Meter

		UP2297		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2297		8/18/25 14:39		3725'13.1854"N		797'47.4211"W		23.54		379385.33		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		-1		13		11.185		2.221		43.305		Yes		8/18/25 14:39		RTK		32		1.27		0.6		1.12		9080		-1339		Yes		RTK		3D		1		491		0.394		0.291		0.394		0.98				WME		Water Meter

		UP2298		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2298		8/18/25 14:39		3725'12.8892"N		797'47.1286"W		38.183		379423.513		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		36.689		100		19		7		9.461		3.316		-87.894		Yes		8/18/25 14:39		RTK		31		1.26		0.6		1.11		9064		-1339		Yes		RTK		3D		1		491		1.388		0.759		0.945		3.164				WME		Water Meter

		UP2299		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2299		8/18/25 14:39		3725'13.3365"N		797'46.5986"W		62.318		379485.832		0		UNKNOWN		39		512		CLASSIC		OMNI PEAK		140		100		100		-4		9		12.785		2.135		-46.837		Yes		8/18/25 14:39		RTK		32		1.27		0.61		1.12		9051		-1339		Yes		RTK		3D		0.6		491		1.64		0.551		0.709		3.461				WME		Water Meter

		UP2300		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2300		8/18/25 14:40		3725'13.7736"N		797'46.8626"W		49.178		379535.01		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		88.94		100		23		9		13.726		-4.453		-49.506		Yes		8/18/25 14:40		RTK		32		1.26		0.6		1.11		9055		-1339		Yes		RTK		3D		0.6		491		1.512		1.27		1.024		3.949				WME		Water Meter

		UP2301		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2301		8/18/25 14:40		3725'13.9868"N		797'46.0806"W		66.617		379601.628		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		30.057		100		-1		10		12.874		3.203		-18.621		Yes		8/18/25 14:40		RTK		30		1.29		0.65		1.11		9041		-1339		Yes		RTK		3D		2.2		491		0.948		0.335		0.472		2.01				WME		Water Meter

		UP2302		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2302		8/18/25 14:40		3725'14.0382"N		797'46.0349"W		6.378		379608.006		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		25.535		100		6		7		9.725		2.258		-16.248		Yes		8/18/25 14:41		RTK		32		1.29		0.65		1.11		9036		-1339		Yes		RTK		3D		1		491		0.759		0.374		0.551		1.691				WME		Water Meter

		UP2303		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2303		8/18/25 14:41		3725'14.4081"N		797'46.1989"W		39.791		379647.797		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		2		9		20.763		-3.934		51.085		Yes		8/18/25 14:41		RTK		32		1.3		0.63		1.13		9038		-1339		Yes		RTK		3D		1.6		491		0.759		0.551		0.669		1.875				WME		Water Meter

		UP2304		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2304		8/18/25 14:41		3725'14.4849"N		797'45.6126"W		47.88		379695.677		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		24.51		100		14		6		11.628		4.193		-81.978		Yes		8/18/25 14:41		RTK		32		1.26		0.6		1.1		9028		-1339		Yes		RTK		3D		2.8		491		1.64		0.672		0.866		3.545				WME		Water Meter

		UP2305		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2305		8/18/25 14:42		3725'14.7434"N		797'45.8376"W		31.878		379727.554		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		21.332		100		18		8		7.075		3.487		40.704		Yes		8/18/25 14:42		RTK		32		1.2		0.56		1.06		9033		-1339		Yes		RTK		3D		2		491		0.591		0.394		0.551		1.42				WME		Water Meter

		UP2306		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2306		8/18/25 14:46		3725'13.9833"N		797'46.0774"W		79.491		379807.045		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		55.93		100		13		7		13.587		4.143		9.181		Yes		8/18/25 14:46		RTK		32		1.18		0.55		1.05		9034		-1339		Yes		RTK		3D		0.6		491		3.992		1.27		1.378		8.379				WME		Water Meter

		UP2307		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2307		8/18/25 14:46		3725'14.0391"N		797'46.0342"W		6.647		379813.693		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		98.047		100		86		7		11.778		-1.165		59.77		Yes		8/18/25 14:46		RTK		32		1.15		0.57		1		9036		-1339		Yes		RTK		3D		0.6		491		0.759		0.366		0.551		1.685				WME		Water Meter

		UP2308		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2308		8/18/25 14:47		3725'14.4075"N		797'46.1991"W		39.663		379853.356		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		89.499		100		1		8		19.697		-1.219		29.565		Yes		8/18/25 14:47		RTK		32		1.18		0.55		1.05		9036		-1339		Yes		RTK		3D		0.8		491		1.05		0.672		0.748		2.493				WME		Water Meter

		UP2309		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2309		8/18/25 14:47		3725'14.4856"N		797'45.6097"W		48.14		379901.496		0		UNKNOWN		8		512		CLASSIC		OMNI PEAK		140		100		100		2		12		10.279		0.262		3.424		Yes		8/18/25 14:47		RTK		31		1.18		0.55		1.04		9030		-1339		Yes		RTK		3D		1.2		491		0.512		0.382		0.512		1.277				WME		Water Meter

		UP2310		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2310		8/18/25 14:47		3725'14.7439"N		797'45.8371"W		31.975		379933.471		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		50.008		100		10		10		7.122		3.196		6.344		Yes		8/18/25 14:47		RTK		31		1.18		0.55		1.04		9031		-1339		Yes		RTK		3D		1.6		491		1.157		0.591		0.748		2.599				WME		Water Meter

		UP2311		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2311		8/18/25 14:48		3725'14.9831"N		797'44.9601"W		74.72		380008.19		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		4.942		100		0		14		11.661		0.247		-38.586		Yes		8/18/25 14:48		RTK		32		1.19		0.56		1.05		9028		-1339		Yes		RTK		3D		1		491		0.551		0.394		0.591		1.355				WME		Water Meter

		UP2312		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2312		8/18/25 14:49		3725'15.7416"N		797'44.6665"W		80.501		380088.691		0		UNKNOWN		3		512		CLASSIC		OMNI PEAK		140		100		100		-7		13		11.967		4.485		8.405		Yes		8/18/25 14:49		RTK		31		1.24		0.58		1.09		9042		-1339		Yes		RTK		3D		0.8		491		0.394		0.299		0.394		0.989				WME		Water Meter

		UP2313		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2313		8/18/25 14:49		3725'15.8589"N		797'44.0753"W		49.098		380137.789		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		17.864		100		-67		6		10.513		1.247		-61.288		Yes		8/18/25 14:49		RTK		32		1.19		0.57		1.05		9058		-1339		Yes		RTK		3D		1.2		491		2.207		0.759		0.945		4.668				WME		Water Meter

		UP2314		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2314		8/18/25 14:49		3725'16.2645"N		797'43.5885"W		56.849		380194.638		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		85.371		100		-123		4		15.742		-0.03		-41.897		Yes		8/18/25 14:49		RTK		32		1.15		0.54		1.02		9076		-1339		Yes		RTK		3D		1.2		491		0.551		0.335		0.472		1.29				WME		Water Meter

		UP2315		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2315		8/18/25 14:50		3725'16.3713"N		797'43.9640"W		32.138		380226.776		0.004		UNKNOWN		1254		512		CLASSIC		OMNI PEAK		140		100		100		-61		9		9.757		-1.36		-88.326		Yes		8/18/25 14:50		RTK		32		1.15		0.54		1.01		9059		-1339		Yes		RTK		3D		1.2		491		0.948		0.512		0.709		2.154				WME		Water Meter

		UP2316		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2316		8/18/25 14:50		3725'16.7807"N		797'42.8886"W		96.093		380322.87		-0.001		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		-84		4		8.374		-2.027		-34.671		Yes		8/18/25 14:50		RTK		32		1.19		0.55		1.06		9097		-1339		Yes		RTK		3D		2		491		1.157		0.551		0.787		2.564				WME		Water Meter

		UP2317		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2317		8/18/25 14:51		3725'17.0919"N		797'42.9750"W		32.328		380355.198		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		63.188		100		-38		5		18.277		2.227		75.069		Yes		8/18/25 14:51		RTK		32		1.1		0.53		0.96		9104		-1339		Yes		RTK		3D		1.6		491		0.759		0.472		0.63		1.787				WME		Water Meter

		UP2318		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2318		8/18/25 14:51		3725'17.2897"N		797'42.7328"W		27.99		380383.188		0		UNKNOWN		9		512		CLASSIC		OMNI PEAK		140		100		100		13		12		17.974		0.723		1.81		Yes		8/18/25 14:51		RTK		32		1.23		0.58		1.09		9119		-1339		Yes		RTK		3D		1.6		491		0.759		0.512		0.669		1.83				WME		Water Meter

		UP2319		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2319		8/18/25 14:51		3725'17.4928"N		797'41.8621"W		73.116		380456.304		-0.008		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		54		9		5.728		-0.08		-33.338		Yes		8/18/25 14:51		RTK		32		1.05		0.5		0.92		9127		-1339		Yes		RTK		3D		0.6		491		2.058		0.672		1.024		4.329				WME		Water Meter

		UP2320		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2320		8/18/25 14:52		3725'17.7767"N		797'42.0285"W		31.77		380488.074		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		62.664		100		-11		12		14.378		-0.752		-20.386		Yes		8/18/25 14:52		RTK		32		1.07		0.51		0.94		9134		-1339		Yes		RTK		3D		1.4		491		2.207		0.759		1.024		4.668				WME		Water Meter

		UP2321		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2321		8/18/25 14:52		3725'17.9228"N		797'41.7620"W		26.087		380514.161		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		20.672		100		83		12		13.065		2.996		67.209		Yes		8/18/25 14:52		RTK		32		1.03		0.5		0.91		9132		-1339		Yes		RTK		3D		0.6		491		0.85		0.551		0.709		2.027				WME		Water Meter

		UP2322		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2322		8/18/25 14:53		3725'17.8751"N		797'41.1727"W		47.732		380561.893		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		0.288		100		-17		13		16.967		-0.341		41.736		Yes		8/18/25 14:53		RTK		32		1.08		0.55		0.93		9156		-1339		Yes		RTK		3D		1.2		491		0.551		0.362		0.472		1.319				WME		Water Meter

		UP2323		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2323		8/18/25 14:53		3725'17.8631"N		797'41.1344"W		3.317		380565.21		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		0.089		100		-8		9		13.963		5.324		22.709		Yes		8/18/25 14:53		RTK		32		1.09		0.54		0.95		9152		-1339		Yes		RTK		3D		2.2		491		0.85		0.591		0.591		2.071				WME		Water Meter

		UP2324		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2324		8/18/25 14:53		3725'18.3686"N		797'40.4675"W		74.283		380639.494		-0.003		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		100		100		-64		3		15.503		-0.078		-36.255		Yes		8/18/25 14:53		FLOAT RTK		32		1.05		0.52		0.91		9264		-1339		Yes		FLOAT RTK		3D		1.4		491		3.865		2.577		0.63		9.291				WME		Water Meter

		UP2325		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2325		8/18/25 14:54		3725'18.8109"N		797'39.7172"W		75.281		380714.774		-0.001		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		32.715		100		-24		12		9.432		-1.334		-51.011		Yes		8/18/25 14:54		RTK		32		1.06		0.52		0.92		9245		-1339		Yes		RTK		3D		1.2		491		0.85		0.433		0.591		1.909				WME		Water Meter

		UP2326		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		2326		8/19/25 7:49		3726'6.6986"N		797'54.0506"W		0		380714.774		0		UNKNOWN		0		512		CLASSIC		OMNI PEAK		140		52.888		100		2		10		14.043		1.505		46.475		Yes		8/19/25 7:49		NONE		3		21.98		21.96		1		7814		-1338		Yes		DATA NOT VALID		2D		0		0		4114.173		272.835		30.709		8246.42				WME		Water Meter

		UP2327		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		2327		8/19/25 7:49		3726'6.5152"N		797'54.1325"W		19.736		380734.511		0		UNKNOWN		169		512		CLASSIC		OMNI PEAK		140		100		100		-30		3		14.291		4.669		57.353		Yes		8/19/25 7:49		NONE		3		21.79		21.77		1		7814		-1338		Yes		DATA NOT VALID		2D		0		0		2901.575		177.559		30.709		5814.005				WME		Water Meter

		UP2328		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		2328		8/19/25 7:49		3726'6.3152"N		797'54.2088"W		21.201		380755.712		0		UNKNOWN		102		512		CLASSIC		OMNI PEAK		140		100		100		-2		5		12.018		5.337		54.673		Yes		8/19/25 7:49		NONE		3		21.56		21.53		1		7814		-1338		Yes		DATA NOT VALID		2D		0		0		2251.969		134.252		30.709		4511.934				WME		Water Meter

		UP2329		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		2329		8/19/25 7:49		3726'0.5765"N		797'56.1481"W		602.786		381358.498		0		UNKNOWN		211		512		CLASSIC		OMNI PEAK		140		82.204		100		0		13		11.121		5.453		49.912		Yes		8/19/25 7:49		NONE		12		2.02		0.93		1.8		9352		-1338		Yes		DATA NOT VALID		3D		0		0		147.244		95.276		125.984		350.761				WME		Water Meter

		UP2330		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2330		8/19/25 7:49		3726'0.5156"N		797'56.0993"W		7.331		381365.829		0		UNKNOWN		87		32768		CLASSIC		OMNI PEAK		140		17.661		100		11		3		44.817		11.66		4.19		Yes		8/19/25 7:49		RTK		28		1.52		0.71		1.34		9156		-1338		Yes		RTK		3D		2.4		935		1.512		0.433		0.551		3.145				WME		Water Meter

		UP2331		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2331		8/19/25 7:53		3726'0.9173"N		798'0.0965"W		324.575		381690.404		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		31.472		100		11		5		12.025		0.142		-68.255		Yes		8/19/25 7:53		RTK		32		0.95		0.48		0.82		9372		-1338		Yes		RTK		3D		1.6		935		0.433		0.354		0.394		1.119				WME		Water Meter

		UP2332		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2332		8/19/25 7:54		3726'1.2034"N		798'2.7554"W		216.15		381906.554		0		UNKNOWN		9		32768		CLASSIC		OMNI PEAK		140		100		100		-30		8		10.609		5.364		18.362		Yes		8/19/25 7:54		RTK		32		1.01		0.5		0.88		9429		-1338		Yes		RTK		3D		1.2		935		0.591		0.433		0.394		1.465				WME		Water Meter

		UP2333		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2333		8/19/25 7:55		3726'2.9014"N		798'7.6726"W		431.956		382338.51		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		23.543		100		-14		9		7.274		2.447		-14.96		Yes		8/19/25 7:55		RTK		32		1		0.51		0.87		9136		-1338		Yes		RTK		3D		1.2		935		0.551		0.472		0.472		1.452				WME		Water Meter

		UP2334		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2334		8/19/25 7:57		3725'59.0965"N		798'6.7248"W		393.486		382731.996		0		UNKNOWN		15		32768		CLASSIC		OMNI PEAK		140		100		100		-4		8		14.862		-3.181		46.136		Yes		8/19/25 7:57		RTK		32		0.95		0.49		0.82		9095		-1338		Yes		RTK		3D		1		935		0.394		0.283		0.394		0.97				WME		Water Meter

		UP2335		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2335		8/19/25 7:58		3725'57.9667"N		798'9.7271"W		267.651		382999.647		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		3		11		15.216		2.72		-15.239		Yes		8/19/25 7:58		RTK		32		1.06		0.52		0.93		8951		-1338		Yes		RTK		3D		1.2		935		0.591		0.472		0.472		1.513				WME		Water Meter

		UP2336		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2336		8/19/25 7:58		3725'57.1520"N		798'9.3243"W		88.793		383088.44		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		15.529		100		41		8		14.451		-0.251		28.216		Yes		8/19/25 7:59		RTK		32		1.08		0.53		0.94		8938		-1338		Yes		RTK		3D		1.4		935		1.27		0.85		0.709		3.057				WME		Water Meter

		UP2337		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2337		8/19/25 8:01		3726'0.9564"N		798'4.1329"W		569.085		383657.525		0		UNKNOWN		27		32768		CLASSIC		OMNI PEAK		140		58.442		100		0		12		9.914		2.852		-22.231		Yes		8/19/25 8:01		RTK		32		0.96		0.5		0.82		9382		-1338		Yes		RTK		3D		1		935		0.512		0.366		0.394		1.259				WME		Water Meter

		UP2338		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2338		8/19/25 8:03		3725'52.4856"N		797'36.0827"W		2417.583		386075.108		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		44.858		100		12		11		9.89		1.108		-73.017		Yes		8/19/25 8:03		RTK		32		0.98		0.51		0.83		9430		-1339		Yes		RTK		3D		1		935		1.05		0.591		0.591		2.409				WME		Water Meter

		UP2339		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2339		8/19/25 8:03		3725'52.4666"N		797'36.0836"W		1.933		386077.041		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		140		100		100		3		10		19.659		0.469		28.695		Yes		8/19/25 8:03		RTK		32		0.91		0.47		0.79		9430		-1339		Yes		RTK		3D		1.2		935		0.591		0.472		0.472		1.513				WME		Water Meter

		UP2340		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2340		8/19/25 8:08		3725'19.7044"N		797'40.2189"W		0		386077.041		0		UNKNOWN		70		32768		CLASSIC		OMNI PEAK		140		100		100		8		10		5.836		2.898		-19.567		Yes		8/19/25 8:08		RTK		29		1.1		0.55		0.95		9371		-1339		Yes		RTK		3D		1.8		935		3.79		1.05		0.827		7.865				WME		Water Meter

		UP2341		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2341		8/19/25 8:08		3725'19.8256"N		797'40.6381"W		35.949		386112.99		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		6.335		100		-1		11		10.782		-1.24		72.85		Yes		8/19/25 8:08		RTK		32		0.92		0.48		0.79		9377		-1339		Yes		RTK		3D		1.4		935		1.05		0.85		0.63		2.702				WME		Water Meter

		UP2342		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2342		8/19/25 8:08		3725'20.0231"N		797'40.9296"W		30.875		386143.865		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		37.159		100		-7		6		14.381		0.216		16.525		Yes		8/19/25 8:08		RTK		32		0.94		0.49		0.8		9371		-1339		Yes		RTK		3D		1.4		935		0.759		0.551		0.472		1.875				WME		Water Meter

		UP2343		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2343		8/19/25 8:09		3725'21.0309"N		797'41.5355"W		113.291		386257.156		0		UNKNOWN		5		32768		CLASSIC		OMNI PEAK		140		100		100		7		11		11.686		-3.655		-59.624		Yes		8/19/25 8:09		FLOAT RTK		32		0.91		0.48		0.78		9300		-1339		Yes		FLOAT RTK		3D		1.8		935		22.087		17.853		3.15		56.8				WME		Water Meter

		UP2344		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2344		8/19/25 8:09		3725'21.0484"N		797'41.5634"W		2.863		386260.02		0		UNKNOWN		23		32768		CLASSIC		OMNI PEAK		140		100		100		0		9		10.354		0.502		47.135		Yes		8/19/25 8:09		FLOAT RTK		32		0.94		0.48		0.8		9294		-1339		Yes		FLOAT RTK		3D		2		935		22.087		15.277		3.031		53.71				WME		Water Meter

		UP2345		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2345		8/19/25 8:09		3725'21.0969"N		797'41.6033"W		5.881		386265.901		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		8.268		100		7		11		8.869		1.484		57.392		Yes		8/19/25 8:09		RTK		32		1.03		0.52		0.9		9288		-1339		Yes		RTK		3D		1.4		935		1.05		0.551		0.63		2.372				WME		Water Meter

		UP2346		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2346		8/19/25 8:10		3725'20.1612"N		797'43.4291"W		175.072		386440.973		0		UNKNOWN		31		32768		CLASSIC		OMNI PEAK		140		61.639		100		1		9		11.149		2.514		12.444		Yes		8/19/25 8:10		RTK		32		0.99		0.51		0.85		9319		-1339		Yes		RTK		3D		1.6		935		1.27		0.948		0.669		3.17				WME		Water Meter

		UP2347		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2347		8/19/25 8:12		3725'19.0595"N		797'39.0455"W		370.449		386811.422		0		UNKNOWN		36		32768		CLASSIC		OMNI PEAK		140		100		100		-6		10		12.788		4.094		-80.429		Yes		8/19/25 8:12		RTK		32		0.94		0.48		0.81		9290		-1339		Yes		RTK		3D		0.8		935		0.551		0.394		0.433		1.355				WME		Water Meter

		UP2348		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2348		8/19/25 8:12		3725'19.8175"N		797'38.5188"W		87.825		386899.247		0		UNKNOWN		119		32768		CLASSIC		OMNI PEAK		140		89.823		100		-10		9		13.682		-2.433		83.679		Yes		8/19/25 8:12		RTK		32		1.04		0.54		0.89		9350		-1339		Yes		RTK		3D		1		935		0.672		0.512		0.551		1.689				WME		Water Meter

		UP2349		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2349		8/19/25 8:13		3725'19.9221"N		797'38.0473"W		39.447		386938.695		0		UNKNOWN		62		32768		CLASSIC		OMNI PEAK		140		66.376		100		-4		6		4.941		7.28		-50.184		Yes		8/19/25 8:13		RTK		32		1		0.52		0.86		9327		-1339		Yes		RTK		3D		1.2		935		0.85		0.672		0.551		2.168				WME		Water Meter

		UP2350		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2350		8/19/25 8:13		3725'19.7127"N		797'37.4823"W		50.236		386988.93		0		UNKNOWN		7		32768		CLASSIC		OMNI PEAK		140		100		100		-1		6		12.698		-5.282		19.51		Yes		8/19/25 8:13		RTK		32		0.95		0.49		0.82		9329		-1339		Yes		RTK		3D		0.6		935		0.378		0.315		0.394		0.984				WME		Water Meter

		UP2351		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2351		8/19/25 8:14		3725'20.5231"N		797'36.5684"W		110.372		387099.302		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		24.054		100		5		10		11.804		-4.144		45.965		Yes		8/19/25 8:14		RTK		32		1.05		0.53		0.91		9337		-1339		Yes		RTK		3D		2		935		0.85		0.551		0.63		2.027				WME		Water Meter

		UP2352		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2352		8/19/25 8:15		3725'21.3026"N		797'34.7397"W		167.216		387266.518		0		UNKNOWN		28		32768		CLASSIC		OMNI PEAK		140		90.023		100		5		6		13.793		-1.047		-71.892		Yes		8/19/25 8:15		RTK		32		1		0.51		0.87		9370		-1339		Yes		RTK		3D		1.4		935		0.551		0.433		0.433		1.402				WME		Water Meter

		UP2353		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2353		8/19/25 8:15		3725'21.1378"N		797'34.2002"W		46.568		387313.086		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		52.653		100		15		9		11.694		-1.955		-42.47		Yes		8/19/25 8:15		RTK		32		1.01		0.51		0.87		9379		-1339		Yes		RTK		3D		0.6		935		1.388		0.948		0.709		3.362				WME		Water Meter

		UP2354		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2354		8/19/25 8:16		3725'22.2114"N		797'32.8242"W		155.416		387468.502		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		14.965		100		-2		7		16.232		2.579		-18.134		Yes		8/19/25 8:16		RTK		32		1		0.51		0.86		9400		-1339		Yes		RTK		3D		1.8		935		0.551		0.472		0.433		1.452				WME		Water Meter

		UP2355		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2355		8/19/25 8:17		3725'22.2220"N		797'32.1124"W		57.363		387525.865		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		34.031		100		1		12		15.065		-5.778		-40.953		Yes		8/19/25 8:17		RTK		31		1.05		0.53		0.91		9432		-1339		Yes		RTK		3D		0.8		935		1.388		1.05		0.748		3.481				WME		Water Meter

		UP2356		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2356		8/19/25 8:17		3725'22.7201"N		797'31.4792"W		71.807		387597.672		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		12.43		100		-3		11		9.164		2.116		-4.804		Yes		8/19/25 8:17		RTK		32		1		0.51		0.86		9450		-1339		Yes		RTK		3D		1.2		935		0.512		0.374		0.394		1.268				WME		Water Meter

		UP2357		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2357		8/19/25 8:18		3725'23.3181"N		797'30.7260"W		85.809		387683.481		0		UNKNOWN		17		32768		CLASSIC		OMNI PEAK		140		100		100		-5		8		11.925		-0.384		-12.264		Yes		8/19/25 8:18		RTK		32		1		0.51		0.86		9508		-1339		Yes		RTK		3D		1.8		935		0.591		0.346		0.394		1.369				WME		Water Meter

		UP2358		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2358		8/19/25 8:18		3725'23.3293"N		797'30.7130"W		1.545		387685.026		0		UNKNOWN		1542		32768		CLASSIC		OMNI PEAK		140		45.739		100		9		12		9.959		-3.154		-59.715		Yes		8/19/25 8:18		RTK		32		1.06		0.56		0.9		9508		-1339		Yes		RTK		3D		3		935		0.591		0.335		0.394		1.358				WME		Water Meter

		UP2359		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2359		8/19/25 8:18		3725'23.6492"N		797'30.5065"W		36.465		387721.49		0		UNKNOWN		522		32768		CLASSIC		OMNI PEAK		140		78.135		100		1		8		10.797		1.761		-29.587		Yes		8/19/25 8:18		RTK		32		1.01		0.53		0.86		9473		-1339		Yes		RTK		3D		1.6		935		0.433		0.307		0.394		1.062				WME		Water Meter

		UP2360		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2360		8/19/25 8:18		3725'24.0130"N		797'30.1997"W		44.424		387765.914		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		53.773		100		13		11		14.207		0.494		-49.098		Yes		8/19/25 8:18		RTK		32		1.05		0.54		0.9		9479		-1339		Yes		RTK		3D		0.8		935		0.759		0.433		0.472		1.747				WME		Water Meter

		UP2361		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2361		8/19/25 8:22		3725'26.7133"N		797'34.0260"W		412.414		388178.328		0		UNKNOWN		17		32768		CLASSIC		OMNI PEAK		140		100		100		-3		10		14.247		-5.762		20.421		Yes		8/19/25 8:22		RTK		32		1.09		0.56		0.94		9518		-1339		Yes		RTK		3D		1.8		935		0.591		0.472		0.512		1.513				WME		Water Meter

		UP2362		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2362		8/19/25 8:23		3725'26.6241"N		797'33.8730"W		15.29		388193.618		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		73.863		100		0		13		14.828		-0.54		38.564		Yes		8/19/25 8:23		RTK		32		1.04		0.53		0.89		9591		-1339		Yes		RTK		3D		1.4		935		0.472		0.386		0.394		1.22				WME		Water Meter

		UP2363		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2363		8/19/25 8:23		3725'26.6102"N		797'33.8733"W		1.418		388195.036		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		-1		12		11.947		7.61		14.603		Yes		8/19/25 8:23		RTK		32		1.05		0.53		0.9		9593		-1339		Yes		RTK		3D		6.2		935		1.774		1.157		0.669		4.237				WME		Water Meter

		UP2364		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2364		8/19/25 8:23		3725'26.5977"N		797'33.8567"W		1.843		388196.878		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		140		100		100		6		10		6.635		6.589		-38.576		Yes		8/19/25 8:23		RTK		32		0.98		0.51		0.84		9585		-1339		Yes		RTK		3D		1.8		935		3.034		1.388		0.945		6.673				WME		Water Meter

		UP2365		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2365		8/19/25 8:25		3725'26.1848"N		797'32.7473"W		98.704		388295.583		0		UNKNOWN		13		32768		CLASSIC		OMNI PEAK		140		100		100		-10		6		5.447		4.077		17.322		Yes		8/19/25 8:25		RTK		32		0.99		0.53		0.83		9565		-1339		Yes		RTK		3D		1.8		935		1.157		0.591		0.551		2.599				WME		Water Meter

		UP2366		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2366		8/19/25 8:27		3725'22.7682"N		797'26.9157"W		583.867		388879.449		0		UNKNOWN		46		32768		CLASSIC		OMNI PEAK		140		100		100		-1		12		16.065		-4.114		20.289		Yes		8/19/25 8:27		RTK		32		1.02		0.53		0.87		9520		-1339		Yes		RTK		3D		1		935		1.05		0.672		0.591		2.493				WME		Water Meter

		UP2367		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2367		8/19/25 8:28		3725'22.5804"N		797'25.4561"W		119.133		388998.582		0		UNKNOWN		94		32768		CLASSIC		OMNI PEAK		140		100		100		10		10		12.796		5.305		4.726		Yes		8/19/25 8:28		RTK		32		1.21		0.6		1.05		9504		-1339		Yes		RTK		3D		1.8		935		1.157		0.85		0.787		2.873				WME		Water Meter

		UP2368		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2368		8/19/25 8:28		3725'21.9664"N		797'24.6128"W		92.176		389090.758		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		5.265		100		0		14		11.881		-1.042		-13.272		Yes		8/19/25 8:28		RTK		32		1.11		0.57		0.96		9451		-1339		Yes		RTK		3D		1.6		935		0.672		0.433		0.512		1.599				WME		Water Meter

		UP2369		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2369		8/19/25 8:33		3725'24.0579"N		797'22.2436"W		285.415		389376.173		0		UNKNOWN		13		32768		CLASSIC		OMNI PEAK		140		100		100		4		10		3.852		-4.862		15.16		Yes		8/19/25 8:33		RTK		32		1.19		0.6		1.03		9258		-1339		Yes		RTK		3D		2.4		935		0.85		0.512		0.591		1.985				WME		Water Meter

		UP2370		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2370		8/19/25 8:34		3725'26.7809"N		797'24.6653"W		338.205		389714.377		0		UNKNOWN		14		32768		CLASSIC		OMNI PEAK		140		73.325		100		4		7		17.636		-0.435		-24.187		Yes		8/19/25 8:34		RTK		32		1.17		0.59		1.01		9351		-1339		Yes		RTK		3D		1.2		935		0.759		0.551		0.669		1.875				WME		Water Meter

		UP2371		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		2371		8/19/25 8:35		3725'27.9429"N		797'24.5273"W		118.408		389832.786		0		UNKNOWN		27		32768		CLASSIC		OMNI PEAK		140		45.226		100		0		11		23.817		-6.381		0.851		Yes		8/19/25 8:35		DGPS SPS VALID		32		1.05		0.55		0.9		9449		-1339		Yes		DIFFERENTIAL		3D		1.2		935		5.74		4.465		4.724		14.544				WME		Water Meter

		UP2372		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2372		8/19/25 8:35		3725'27.9424"N		797'24.5269"W		0.062		389832.848		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		24.983		100		12		9		22.518		-3.982		68.412		Yes		8/19/25 8:35		FLOAT RTK		32		1.05		0.55		0.9		9452		-1339		Yes		FLOAT RTK		3D		3.8		935		13.988		9.387		1.654		33.692				WME		Water Meter

		UP2373		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2373		8/19/25 8:35		3725'27.6264"N		797'24.0337"W		51.06		389883.907		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		20.406		100		-2		11		8.469		6.832		-29.874		Yes		8/19/25 8:35		RTK		32		1.07		0.57		0.91		9411		-1339		Yes		RTK		3D		1.6		935		1.388		0.85		0.709		3.256				WME		Water Meter

		UP2374		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2374		8/19/25 8:36		3725'28.0509"N		797'23.8188"W		46.411		389930.318		0		UNKNOWN		58		32768		CLASSIC		OMNI PEAK		140		54.998		100		0		10		10.435		-2.07		7.882		Yes		8/19/25 8:36		RTK		32		1.05		0.55		0.89		9405		-1339		Yes		RTK		3D		1.2		935		0.551		0.433		0.433		1.402				WME		Water Meter

		UP2375		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2375		8/19/25 8:40		3725'18.6872"N		797'15.3053"W		1171.707		391102.025		0		UNKNOWN		7		32768		CLASSIC		OMNI PEAK		140		100		100		-1		11		14.61		2.531		-3.466		Yes		8/19/25 8:40		RTK		32		0.99		0.54		0.83		9575		-1339		Yes		RTK		3D		1.8		935		1.512		0.948		0.748		3.568				WME		Water Meter

		UP2376		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2376		8/19/25 8:41		3725'18.4534"N		797'15.2281"W		24.523		391126.547		0		UNKNOWN		10		32768		CLASSIC		OMNI PEAK		140		100		100		1		8		11.632		-1.009		56.828		Yes		8/19/25 8:41		RTK		32		1.07		0.57		0.91		9594		-1339		Yes		RTK		3D		3.8		935		1.64		1.05		0.866		3.895				WME		Water Meter

		UP2377		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2377		8/19/25 8:41		3725'19.2539"N		797'16.0122"W		102.893		391229.441		0		UNKNOWN		24		32768		CLASSIC		OMNI PEAK		140		94.698		100		2		8		10.569		-1.333		9.239		Yes		8/19/25 8:41		RTK		32		1.06		0.56		0.89		9488		-1339		Yes		RTK		3D		1.2		935		0.759		0.472		0.512		1.787				WME		Water Meter

		UP2378		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		2378		8/19/25 8:52		3725'19.9736"N		797'15.9234"W		73.362		391302.803		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0		100		-37		6		18.057		-1.659		-37.281		Yes		8/19/25 8:52		GPS SPS VALID		30		1		0.53		0.85		9807		-1339		Yes		AUTONOMOUS		3D		0		0		186.22		116.929		114.173		439.775				WME		Water Meter

		UP2379		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		2379		8/19/25 8:52		3725'19.9865"N		797'15.9245"W		1.315		391304.118		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.175		100		-3		9		18.017		1.309		-29.048		Yes		8/19/25 8:52		GPS SPS VALID		32		0.93		0.5		0.78		9702		-1339		Yes		AUTONOMOUS		3D		0		0		90.945		60.63		59.055		218.604				WME		Water Meter

		UP2380		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		2380		8/19/25 8:52		3725'19.9968"N		797'15.9219"W		1.063		391305.181		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		2.007		100		-113		11		18.5		-1.705		-35.443		Yes		8/19/25 8:52		GPS SPS VALID		32		0.91		0.48		0.77		9657		-1339		Yes		AUTONOMOUS		3D		0		0		64.961		43.307		43.307		156.146				WME		Water Meter

		UP2381		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		2381		8/19/25 8:52		3725'20.0016"N		797'15.9303"W		0.835		391306.016		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		2.933		100		37		10		25.255		0.707		-62.323		Yes		8/19/25 8:52		GPS SPS VALID		31		0.98		0.52		0.83		9637		-1339		Yes		AUTONOMOUS		3D		0		0		51.969		35.512		35.827		125.886				WME		Water Meter

		UP2382		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2382		8/19/25 8:53		3725'19.9885"N		797'15.9488"W		2		391308.016		0		UNKNOWN		74		32768		CLASSIC		OMNI PEAK		140		28.812		100		41		4		14.948		-1.878		-87.334		Yes		8/19/25 8:53		RTK		31		1.08		0.6		0.9		9530		-1339		Yes		RTK		3D		3.8		984		1.27		0.85		0.709		3.057				WME		Water Meter

		UP2383		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2383		8/19/25 8:54		3725'20.0107"N		797'17.6889"W		140.221		391448.236		0		UNKNOWN		13		32768		CLASSIC		OMNI PEAK		140		30.643		100		-7		6		5.73		0.674		54.018		Yes		8/19/25 8:54		RTK		32		1.03		0.58		0.84		9461		-1339		Yes		RTK		3D		0.6		984		1.27		0.948		0.748		3.17				WME		Water Meter

		UP2384		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2384		8/19/25 8:56		3725'19.0165"N		797'13.0133"W		389.981		391838.218		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		56.303		100		0		12		7.492		3.302		-86.762		Yes		8/19/25 8:56		RTK		32		1.02		0.59		0.84		9675		-1339		Yes		RTK		3D		1.2		984		0.759		0.394		0.433		1.709				WME		Water Meter

		UP2385		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2385		8/19/25 8:57		3725'17.6030"N		797'9.4928"W		317.84		392156.058		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		47.386		100		1		10		10.003		3.407		-0.212		Yes		8/19/25 8:57		RTK		32		1.02		0.59		0.83		9636		-1339		Yes		RTK		3D		4.6		984		1.774		0.948		0.866		4.023				WME		Water Meter

		UP2386		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2386		8/19/25 8:58		3725'17.2420"N		797'9.7365"W		41.556		392197.614		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		10.189		100		-12		10		8.589		3.23		2.043		Yes		8/19/25 8:58		RTK		32		1.12		0.61		0.93		9601		-1339		Yes		RTK		3D		1.2		984		1.27		0.85		0.748		3.057				WME		Water Meter

		UP2387		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2387		8/19/25 8:58		3725'16.9185"N		797'9.0866"W		61.795		392259.408		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		30.342		100		0		13		6.761		1.396		-45.815		Yes		8/19/25 8:58		RTK		32		1.02		0.59		0.83		9559		-1339		Yes		RTK		3D		1		984		3.034		1.64		1.102		6.898				WME		Water Meter

		UP2388		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2388		8/19/25 9:00		3725'21.5384"N		797'16.6144"W		766.508		393025.916		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		1		12		9.752		1.413		-49.255		Yes		8/19/25 9:00		RTK		32		1.06		0.6		0.87		9385		-1339		Yes		RTK		3D		1.4		984		1.157		0.512		0.512		2.531				WME		Water Meter

		UP2389		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2389		8/19/25 9:01		3725'23.1163"N		797'14.9221"W		210.273		393236.19		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		140		100		100		3		8		10.392		0.704		65.846		Yes		8/19/25 9:01		RTK		31		1.11		0.64		0.91		9387		-1339		Yes		RTK		3D		1.6		984		1.27		0.759		0.827		2.959				WME		Water Meter

		UP2390		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2390		8/19/25 9:01		3725'23.0495"N		797'14.5913"W		27.497		393263.687		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		140		100		100		5		11		10.203		1.028		-38.843		Yes		8/19/25 9:02		RTK		31		1.08		0.61		0.9		9425		-1339		Yes		RTK		3D		1.4		984		0.672		0.472		0.551		1.643				WME		Water Meter

		UP2391		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2391		8/19/25 9:02		3725'23.2740"N		797'14.2263"W		37.199		393300.885		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		57.412		100		-11		9		4.917		0.208		30.181		Yes		8/19/25 9:02		RTK		31		1.08		0.61		0.9		9404		-1339		Yes		RTK		3D		1.4		984		1.05		0.672		0.709		2.493				WME		Water Meter

		UP2392		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2392		8/19/25 9:02		3725'22.9530"N		797'14.0805"W		34.622		393335.507		0		UNKNOWN		542		32768		CLASSIC		OMNI PEAK		140		28.967		100		11		6		8.903		-0.738		-24.126		Yes		8/19/25 9:02		RTK		31		1.08		0.61		0.89		9443		-1339		Yes		RTK		3D		1.4		984		1.512		0.759		0.748		3.383				WME		Water Meter

		UP2393		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2393		8/19/25 9:03		3725'22.8213"N		797'13.4078"W		55.817		393391.323		0		UNKNOWN		35		32768		CLASSIC		OMNI PEAK		140		61.747		100		13		10		9.201		-0.032		-50.939		Yes		8/19/25 9:03		RTK		30		1.12		0.65		0.91		9443		-1339		Yes		RTK		3D		1.6		984		0.85		0.512		0.551		1.985				WME		Water Meter

		UP2394		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2394		8/19/25 9:03		3725'23.0616"N		797'13.3350"W		25.072		393416.395		0		UNKNOWN		16		32768		CLASSIC		OMNI PEAK		140		100		100		-2		13		12.053		0.173		-88.535		Yes		8/19/25 9:03		RTK		30		1.08		0.61		0.89		9425		-1339		Yes		RTK		3D		1.4		984		0.591		0.433		0.433		1.465				WME		Water Meter

		UP2395		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2395		8/19/25 9:03		3725'22.7137"N		797'12.8991"W		49.788		393466.184		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		1.542		100		26		6		24.251		-3.561		-81.066		Yes		8/19/25 9:03		RTK		32		1.08		0.61		0.89		9443		-1339		Yes		RTK		3D		1.6		984		0.472		0.386		0.394		1.22				WME		Water Meter

		UP2396		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2396		8/19/25 9:03		3725'22.6276"N		797'12.4027"W		40.941		393507.125		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		30.882		100		0		11		12.168		-6.143		56.728		Yes		8/19/25 9:04		RTK		32		1.15		0.62		0.97		9434		-1339		Yes		RTK		3D		2.4		984		0.948		0.551		0.551		2.192				WME		Water Meter

		UP2397		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2397		8/19/25 9:04		3725'22.7326"N		797'11.7813"W		51.179		393558.304		0		UNKNOWN		21		32768		CLASSIC		OMNI PEAK		140		53.379		100		0		11		10.89		-2.523		-34.561		Yes		8/19/25 9:04		RTK		32		1.04		0.58		0.87		9431		-1339		Yes		RTK		3D		1.4		984		0.433		0.346		0.394		1.109				WME		Water Meter

		UP2398		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2398		8/19/25 9:04		3725'22.5007"N		797'11.8096"W		23.636		393581.94		0		UNKNOWN		25		32768		CLASSIC		OMNI PEAK		140		100		100		-1		13		19.298		-0.829		75.226		Yes		8/19/25 9:04		RTK		32		1.14		0.6		0.97		9457		-1339		Yes		RTK		3D		1		984		0.672		0.512		0.472		1.689				WME		Water Meter

		UP2399		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2399		8/19/25 9:04		3725'22.3766"N		797'11.2032"W		50.454		393632.394		0		UNKNOWN		16		32768		CLASSIC		OMNI PEAK		140		94.001		100		-8		6		16.167		-2.819		-57.042		Yes		8/19/25 9:04		RTK		32		1.08		0.61		0.89		9499		-1339		Yes		RTK		3D		1.8		984		0.433		0.354		0.394		1.119				WME		Water Meter

		UP2400		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2400		8/19/25 9:05		3725'22.6080"N		797'10.9392"W		31.683		393664.078		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		27.009		100		12		11		13.676		-0.486		-70.896		Yes		8/19/25 9:05		RTK		32		1.03		0.56		0.87		9495		-1339		Yes		RTK		3D		2.2		984		0.394		0.343		0.394		1.044				WME		Water Meter

		UP2401		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2401		8/19/25 9:10		3725'15.6500"N		797'18.8160"W		949.235		394613.313		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		-3		12		0.239		3.731		-15.866		Yes		8/19/25 9:10		RTK		32		1.05		0.6		0.86		9431		-1339		Yes		RTK		3D		1.6		984		5.081		2.362		1.142		11.207				WME		Water Meter

		UP2402		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2402		8/19/25 9:11		3725'14.1512"N		797'21.8968"W		291.09		394904.402		0		UNKNOWN		17		32768		CLASSIC		OMNI PEAK		140		100		100		-1		12		14.411		-3.1		62.937		Yes		8/19/25 9:11		RTK		29		1.15		0.6		0.98		9095		-1339		Yes		RTK		3D		0.8		984		0.551		0.472		0.472		1.452				WME		Water Meter

		UP2403		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2403		8/19/25 9:12		3725'13.5457"N		797'22.9656"W		105.778		395010.18		0		UNKNOWN		8		32768		CLASSIC		OMNI PEAK		140		100		100		-10		8		11.557		-0.759		13.11		Yes		8/19/25 9:12		RTK		32		1.11		0.58		0.95		9074		-1339		Yes		RTK		3D		0.8		984		1.64		0.85		0.709		3.695				WME		Water Meter

		UP2404		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2404		8/19/25 9:14		3725'15.4823"N		797'5.7655"W		1399.694		396409.875		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		78.531		100		20		11		6.527		2.15		-12.522		Yes		8/19/25 9:14		RTK		32		1.03		0.57		0.85		9457		-1339		Yes		RTK		3D		1.4		984		0.394		0.394		0.394		1.114				WME		Water Meter

		UP2405		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2405		8/19/25 9:15		3725'15.3095"N		797'5.1527"W		52.394		396462.269		0		UNKNOWN		110		32768		CLASSIC		OMNI PEAK		140		100		100		-11		9		12.734		-5.32		-41.475		Yes		8/19/25 9:15		RTK		32		1.01		0.56		0.84		9432		-1339		Yes		RTK		3D		1.4		984		1.512		0.948		0.827		3.568				WME		Water Meter

		UP2406		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2406		8/19/25 9:15		3725'15.7568"N		797'4.5820"W		64.603		396526.872		0		UNKNOWN		14		32768		CLASSIC		OMNI PEAK		140		100		100		8		7		7.809		4.938		5.989		Yes		8/19/25 9:15		RTK		32		1.01		0.56		0.84		9373		-1339		Yes		RTK		3D		1.6		984		0.759		0.551		0.512		1.875				WME		Water Meter

		UP2407		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2407		8/19/25 9:16		3725'14.9960"N		797'4.0854"W		86.933		396613.805		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		48.255		100		0		12		9.981		3.64		-88.243		Yes		8/19/25 9:16		RTK		31		1.01		0.56		0.84		9413		-1339		Yes		RTK		3D		1		984		0.948		0.672		0.591		2.323				WME		Water Meter

		UP2408		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2408		8/19/25 9:22		3725'15.1855"N		797'3.3497"W		62.316		396676.122		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		59.145		100		-20		8		7.063		7.305		-49.332		Yes		8/19/25 9:22		RTK		32		1.09		0.59		0.91		9356		-1339		Yes		RTK		3D		1.4		984		1.774		1.27		0.709		4.364				WME		Water Meter

		UP2409		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2409		8/19/25 9:23		3725'14.5258"N		797'2.6992"W		85.013		396761.134		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		1		9		6.032		-0.306		-67.182		Yes		8/19/25 9:23		RTK		32		1.08		0.59		0.91		9380		-1339		Yes		RTK		3D		1		984		0.551		0.433		0.472		1.402				WME		Water Meter

		UP2410		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2410		8/19/25 9:23		3725'14.7291"N		797'1.9554"W		63.38		396824.514		0		UNKNOWN		28		32768		CLASSIC		OMNI PEAK		140		100		100		-1		11		7.646		-1.186		-19.751		Yes		8/19/25 9:23		RTK		32		1.08		0.59		0.91		9349		-1339		Yes		RTK		3D		1.4		984		1.388		1.05		0.709		3.481				WME		Water Meter

		UP2411		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2411		8/19/25 9:23		3725'14.7847"N		797'1.8670"W		9.084		396833.598		0		UNKNOWN		101		32768		CLASSIC		OMNI PEAK		140		53.326		100		-20		6		11.38		-0.848		79.468		Yes		8/19/25 9:23		RTK		32		1.08		0.59		0.91		9348		-1339		Yes		RTK		3D		2.6		984		0.551		0.512		0.433		1.504				WME		Water Meter

		UP2412		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2412		8/19/25 9:24		3725'14.3924"N		797'0.9640"W		82.924		396916.522		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		42.47		100		0		11		9.248		0.686		88.394		Yes		8/19/25 9:24		RTK		32		1.18		0.62		1		9328		-1339		Yes		RTK		3D		1.2		984		2.522		0.672		0.787		5.221				WME		Water Meter

		UP2413		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2413		8/19/25 9:25		3725'13.6934"N		797'0.0329"W		103.235		397019.757		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		20.297		100		0		10		10.396		2.846		27.96		Yes		8/19/25 9:25		RTK		32		1.07		0.59		0.9		9267		-1339		Yes		RTK		3D		0.8		984		1.157		0.759		0.591		2.768				WME		Water Meter

		UP2414		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2414		8/19/25 9:25		3725'13.8223"N		796'59.2316"W		65.872		397085.629		0		UNKNOWN		7		32768		CLASSIC		OMNI PEAK		140		100		100		-6		9		10.072		-0.258		50.467		Yes		8/19/25 9:25		RTK		32		1.07		0.59		0.9		9264		-1339		Yes		RTK		3D		1.2		984		1.512		1.27		0.827		3.949				WME		Water Meter

		UP2415		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2415		8/19/25 9:26		3725'13.4144"N		796'57.6318"W		135.378		397221.007		0		UNKNOWN		9		32768		CLASSIC		OMNI PEAK		140		100		100		7		11		4.71		-2.521		66.328		Yes		8/19/25 9:26		RTK		32		1.07		0.59		0.89		9186		-1339		Yes		RTK		3D		0.8		984		1.05		0.672		0.591		2.493				WME		Water Meter

		UP2416		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2416		8/19/25 9:27		3725'13.1689"N		796'58.8068"W		97.89		397318.897		0		UNKNOWN		28		32768		CLASSIC		OMNI PEAK		140		92.927		100		-1		10		11.793		0.129		61.715		Yes		8/19/25 9:27		RTK		32		1.09		0.6		0.91		9142		-1339		Yes		RTK		3D		1		984		0.85		0.512		0.551		1.985				WME		Water Meter

		UP2417		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2417		8/19/25 9:30		3725'12.7598"N		796'57.2656"W		130.927		397449.824		0		UNKNOWN		14		32768		CLASSIC		OMNI PEAK		140		100		100		-2		8		14.254		-1.887		-71.305		Yes		8/19/25 9:30		RTK		32		1.05		0.59		0.87		9060		-1339		Yes		RTK		3D		1.6		984		0.591		0.512		0.433		1.563				WME		Water Meter

		UP2418		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2418		8/19/25 9:31		3725'12.1672"N		796'55.8341"W		130.063		397579.888		0		UNKNOWN		31		32768		CLASSIC		OMNI PEAK		140		100		100		0		11		8.692		3.912		49.057		Yes		8/19/25 9:31		RTK		32		1.08		0.6		0.89		8947		-1339		Yes		RTK		3D		2.4		984		0.433		0.382		0.394		1.155				WME		Water Meter

		UP2419		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2419		8/19/25 9:32		3725'11.4088"N		796'54.3308"W		143.496		397723.384		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		19.09		100		0		9		18.082		-4.283		-17.662		Yes		8/19/25 9:32		RTK		32		1.13		0.63		0.93		8877		-1339		Yes		RTK		3D		1		984		0.672		0.472		0.472		1.643				WME		Water Meter

		UP2420		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2420		8/19/25 9:33		3725'11.6313"N		796'53.8641"W		43.856		397767.24		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		35.627		100		0		11		11.796		3.097		-76.753		Yes		8/19/25 9:33		RTK		32		1.07		0.6		0.88		8907		-1339		Yes		RTK		3D		1		984		0.948		0.672		0.591		2.323				WME		Water Meter

		UP2421		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2421		8/19/25 9:33		3725'11.0214"N		796'53.7259"W		62.867		397830.107		0		UNKNOWN		456		32768		CLASSIC		OMNI PEAK		140		99.399		100		1		11		8.124		12.763		-78.375		Yes		8/19/25 9:33		RTK		32		1.19		0.67		0.98		8866		-1339		Yes		RTK		3D		1.2		984		2.058		1.388		0.906		4.965				WME		Water Meter

		UP2422		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2422		8/19/25 9:33		3725'11.2211"N		796'53.2765"W		41.495		397871.602		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		14.869		100		-55		5		11.133		-3.88		-55.333		Yes		8/19/25 9:33		RTK		31		1.13		0.63		0.93		8890		-1339		Yes		RTK		3D		1.6		984		1.913		1.388		0.866		4.728				WME		Water Meter

		UP2423		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2423		8/19/25 9:34		3725'10.3420"N		796'52.1848"W		125.259		397996.861		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		140		100		100		2		12		10.501		-0.079		58.163		Yes		8/19/25 9:34		RTK		31		1.16		0.66		0.95		8828		-1339		Yes		RTK		3D		1.2		984		0.591		0.551		0.63		1.616				WME		Water Meter

		UP2424		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2424		8/19/25 9:34		3725'10.0427"N		796'52.4684"W		38.004		398034.865		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		54.441		100		0		12		7.975		-2.021		-84.451		Yes		8/19/25 9:34		RTK		31		1.12		0.64		0.92		8826		-1339		Yes		RTK		3D		1.2		984		0.591		0.512		0.433		1.563				WME		Water Meter

		UP2425		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2425		8/19/25 9:34		3725'10.0313"N		796'52.5546"W		7.038		398041.904		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		5.959		100		-8		9		7.975		-2.136		-69.021		Yes		8/19/25 9:34		RTK		32		1.23		0.66		1.04		8829		-1339		Yes		RTK		3D		1.4		984		1.64		1.05		0.709		3.895				WME		Water Meter

		UP2426		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2426		8/19/25 9:35		3725'10.0361"N		796'52.5770"W		1.868		398043.772		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		10.672		100		1		12		11.356		2.33		26.146		Yes		8/19/25 9:35		RTK		31		1.09		0.62		0.9		8827		-1339		Yes		RTK		3D		2		984		1.774		1.27		0.748		4.364				WME		Water Meter

		UP2427		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2427		8/19/25 9:35		3725'9.9328"N		796'51.5004"W		87.372		398131.144		0		UNKNOWN		129		32768		CLASSIC		OMNI PEAK		140		72.681		100		64		6		11.325		-1.995		18.024		Yes		8/19/25 9:35		RTK		30		1.19		0.67		0.98		8786		-1339		Yes		RTK		3D		1.2		984		0.512		0.433		0.472		1.341				WME		Water Meter

		UP2428		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2428		8/19/25 9:36		3725'9.3869"N		796'50.7314"W		83.103		398214.246		0		UNKNOWN		164		32768		CLASSIC		OMNI PEAK		140		39.98		100		0		11		9.955		0.216		-1.953		Yes		8/19/25 9:36		RTK		31		1.12		0.64		0.92		8745		-1339		Yes		RTK		3D		1.6		984		0.591		0.512		0.433		1.563				WME		Water Meter

		UP2429		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2429		8/19/25 9:36		3725'8.7091"N		796'49.8757"W		97.38		398311.627		0		UNKNOWN		8		32768		CLASSIC		OMNI PEAK		140		100		100		0		11		11.812		-4.023		24.223		Yes		8/19/25 9:36		RTK		31		1.12		0.64		0.92		8727		-1339		Yes		RTK		3D		0.8		984		0.382		0.291		0.394		0.961				WME		Water Meter

		UP2430		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2430		8/19/25 9:36		3725'8.5771"N		796'49.7425"W		17.156		398328.782		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		45.02		100		67		10		11.845		-1.71		-72.871		Yes		8/19/25 9:36		RTK		31		1.12		0.64		0.92		8722		-1339		Yes		RTK		3D		0.8		984		1.05		0.672		0.591		2.493				WME		Water Meter

		UP2431		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2431		8/19/25 9:37		3725'8.3287"N		796'50.5053"W		66.423		398395.205		0		UNKNOWN		376		32768		CLASSIC		OMNI PEAK		140		54.459		100		1		12		12.027		0.72		-72.248		Yes		8/19/25 9:37		RTK		32		1.11		0.64		0.91		8770		-1339		Yes		RTK		3D		1.4		984		1.27		0.85		0.63		3.057				WME		Water Meter

		UP2432		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2432		8/19/25 9:41		3725'6.9267"N		796'48.9923"W		187.331		398582.536		0		UNKNOWN		21		32768		CLASSIC		OMNI PEAK		140		79.815		100		1		9		12.966		3.626		56.453		Yes		8/19/25 9:41		RTK		31		1.05		0.61		0.85		8665		-1339		Yes		RTK		3D		1		984		1.157		0.672		0.551		2.677				WME		Water Meter

		UP2433		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2433		8/19/25 9:41		3725'6.6798"N		796'48.0637"W		78.896		398661.432		0		UNKNOWN		281		32768		CLASSIC		OMNI PEAK		140		91.576		100		2		8		10.121		3.804		-41.338		Yes		8/19/25 9:41		RTK		32		1.05		0.61		0.85		8623		-1339		Yes		RTK		3D		0.6		984		2.207		1.27		0.866		5.094				WME		Water Meter

		UP2434		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2434		8/19/25 9:42		3725'6.1367"N		796'47.6771"W		63.297		398724.729		0		UNKNOWN		159		32768		CLASSIC		OMNI PEAK		140		89.81		100		6		10		14.72		-4.899		-3.963		Yes		8/19/25 9:42		RTK		32		1.11		0.65		0.9		8610		-1339		Yes		RTK		3D		1.6		984		1.512		0.85		0.669		3.469				WME		Water Meter

		UP2435		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2435		8/19/25 9:42		3725'5.5575"N		796'47.7919"W		59.477		398784.206		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		18.805		100		30		6		10.568		5.581		-35.003		Yes		8/19/25 9:42		RTK		32		1.12		0.66		0.9		8588		-1339		Yes		RTK		3D		1.2		984		1.157		0.759		0.709		2.768				WME		Water Meter

		UP2436		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2436		8/19/25 9:43		3725'4.9290"N		796'46.6250"W		113.599		398897.805		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		2		5		12.56		-3.764		-60.911		Yes		8/19/25 9:43		RTK		32		1.04		0.61		0.84		8568		-1339		Yes		RTK		3D		1		984		0.672		0.512		0.472		1.689				WME		Water Meter

		UP2437		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2437		8/19/25 9:43		3725'5.0664"N		796'46.5740"W		14.526		398912.331		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		140		100		100		0		9		12.029		4.037		-35.739		Yes		8/19/25 9:43		RTK		32		1.04		0.61		0.84		8566		-1339		Yes		RTK		3D		1		984		1.512		0.85		0.669		3.469				WME		Water Meter

		UP2438		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2438		8/19/25 9:44		3725'6.1358"N		796'47.6763"W		140.21		399052.541		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		15.424		100		-2		11		12.484		3.345		-89.139		Yes		8/19/25 9:44		RTK		32		1.11		0.65		0.9		8608		-1339		Yes		RTK		3D		1.4		984		0.672		0.433		0.394		1.599				WME		Water Meter

		UP2439		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2439		8/19/25 10:10		3725'15.3807"N		797'16.5114"W		2505.488		401558.03		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		79.221		100		3		11		15.182		-4.997		-67.968		Yes		8/19/25 10:10		RTK		32		1.08		0.61		0.9		9502		-1339		Yes		RTK		3D		1.4		984		0.512		0.433		0.394		1.341				WME		Water Meter

		UP2440		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2440		8/19/25 10:10		3725'14.8332"N		797'16.5168"W		55.547		401613.577		0		UNKNOWN		33		32768		CLASSIC		OMNI PEAK		140		74.339		100		2		10		8.91		-1.655		-2.543		Yes		8/19/25 10:10		RTK		32		1.06		0.6		0.88		9486		-1339		Yes		RTK		3D		1.6		984		0.948		0.472		0.512		2.118				WME		Water Meter

		UP2441		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2441		8/19/25 10:15		3725'13.8516"N		797'16.7181"W		100.897		401714.473		0		UNKNOWN		16		32768		CLASSIC		OMNI PEAK		140		98.641		100		-6		11		14.905		-0.091		-68.957		Yes		8/19/25 10:15		RTK		32		1.09		0.61		0.9		9460		-1339		Yes		RTK		3D		1.4		984		0.672		0.591		0.472		1.789				WME		Water Meter

		UP2442		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2442		8/19/25 10:16		3725'13.2651"N		797'16.1899"W		73.151		401787.625		0		UNKNOWN		56		32768		CLASSIC		OMNI PEAK		140		56.452		100		0		10		7.714		1.195		-40.548		Yes		8/19/25 10:16		RTK		32		1.08		0.61		0.9		9445		-1339		Yes		RTK		3D		1.6		984		0.759		0.512		0.433		1.83				WME		Water Meter

		UP2443		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2443		8/19/25 10:16		3725'12.8207"N		797'17.0929"W		85.593		401873.217		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		42.598		100		1		9		15.543		-0.438		-83.844		Yes		8/19/25 10:16		RTK		32		1.04		0.59		0.86		9447		-1339		Yes		RTK		3D		1.6		984		0.759		0.591		0.512		1.923				WME		Water Meter

		UP2444		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2444		8/19/25 10:17		3725'12.3155"N		797'16.4803"W		71.155		401944.373		0		UNKNOWN		53		32768		CLASSIC		OMNI PEAK		140		100		100		19		10		11.521		0.604		-50.216		Yes		8/19/25 10:17		RTK		32		1.04		0.59		0.85		9442		-1339		Yes		RTK		3D		1		984		0.591		0.512		0.433		1.563				WME		Water Meter

		UP2445		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2445		8/19/25 10:18		3725'10.3982"N		797'16.5434"W		194.578		402138.95		0		UNKNOWN		41		32768		CLASSIC		OMNI PEAK		140		100		100		5		8		11.156		3.308		-58.882		Yes		8/19/25 10:18		RTK		32		0.99		0.57		0.81		9441		-1339		Yes		RTK		3D		1.4		984		0.591		0.551		0.591		1.616				WME		Water Meter

		UP2446		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2446		8/19/25 10:18		3725'9.6339"N		797'16.4137"W		78.243		402217.193		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		-1		13		11.052		2.502		-11.27		Yes		8/19/25 10:18		RTK		32		1.03		0.59		0.85		9427		-1339		Yes		RTK		3D		0.8		984		0.672		0.551		0.472		1.738				WME		Water Meter

		UP2447		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2447		8/19/25 10:18		3725'9.4286"N		797'17.1028"W		59.3		402276.493		0		UNKNOWN		8		32768		CLASSIC		OMNI PEAK		140		100		100		-14		8		19.391		-3.64		36.963		Yes		8/19/25 10:18		RTK		32		1.04		0.6		0.85		9448		-1339		Yes		RTK		3D		1.8		984		0.551		0.394		0.394		1.355				WME		Water Meter

		UP2448		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2448		8/19/25 10:19		3725'8.6520"N		797'16.9146"W		80.229		402356.722		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		140		100		100		-2		13		12.243		-3.122		52.092		Yes		8/19/25 10:19		RTK		32		0.99		0.57		0.81		9407		-1339		Yes		RTK		3D		1.4		984		0.85		0.551		0.472		2.027				WME		Water Meter

		UP2449		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2449		8/19/25 10:20		3725'8.1842"N		797'15.1318"W		151.285		402508.007		0		UNKNOWN		38		32768		CLASSIC		OMNI PEAK		140		66.489		100		3		6		17.96		-3.995		-20.391		Yes		8/19/25 10:20		RTK		32		1.03		0.59		0.85		9335		-1339		Yes		RTK		3D		1.6		984		0.85		0.551		0.472		2.027				WME		Water Meter

		UP2450		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2450		8/19/25 10:21		3725'7.3073"N		797'15.8079"W		104.317		402612.324		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		140		100		100		2		9		12.697		-0.346		8.226		Yes		8/19/25 10:21		RTK		32		1.03		0.58		0.85		9384		-1339		Yes		RTK		3D		1		984		0.591		0.512		0.433		1.563				WME		Water Meter

		UP2451		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2451		8/19/25 10:21		3725'5.9281"N		797'16.1943"W		143.338		402755.662		0		UNKNOWN		81		32768		CLASSIC		OMNI PEAK		140		100		100		-11		9		3.32		3.764		79.232		Yes		8/19/25 10:21		RTK		32		1.03		0.58		0.85		9396		-1339		Yes		RTK		3D		1		984		2.058		0.759		0.669		4.386				WME		Water Meter

		UP2452		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2452		8/19/25 10:22		3725'6.2833"N		797'16.9463"W		70.498		402826.16		0		UNKNOWN		37		32768		CLASSIC		OMNI PEAK		140		100		100		0		8		10.259		-2.35		86.349		Yes		8/19/25 10:22		RTK		31		0.98		0.57		0.8		9382		-1339		Yes		RTK		3D		0.6		984		0.759		0.512		0.394		1.83				WME		Water Meter

		UP2453		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2453		8/19/25 10:27		3725'4.9060"N		797'17.0364"W		139.917		402966.077		0		UNKNOWN		15		32768		CLASSIC		OMNI PEAK		140		100		100		-9		9		20.18		-2.412		50.95		Yes		8/19/25 10:27		RTK		31		0.96		0.56		0.78		9430		-1339		Yes		RTK		3D		1		984		0.759		0.551		0.433		1.875				WME		Water Meter

		UP2454		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2454		8/19/25 10:27		3725'3.4169"N		797'16.2321"W		164.38		403130.458		0		UNKNOWN		70		32768		CLASSIC		OMNI PEAK		140		100		100		-3		12		8.959		-0.189		-18.794		Yes		8/19/25 10:27		FLOAT RTK		31		1.03		0.58		0.86		9443		-1339		Yes		FLOAT RTK		3D		1		984		4.049		3.497		0.63		10.701				WME		Water Meter

		UP2455		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2455		8/19/25 10:28		3725'2.6582"N		797'16.8154"W		90.186		403220.644		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		44.964		100		-8		12		22.585		4.114		-65.352		Yes		8/19/25 10:28		RTK		32		1.04		0.6		0.85		9466		-1339		Yes		RTK		3D		2		984		1.64		0.948		0.748		3.789				WME		Water Meter

		UP2456		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2456		8/19/25 10:29		3725'1.3057"N		797'15.7749"W		160.794		403381.438		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		100		100		-8		7		20.963		2.472		-5.491		Yes		8/19/25 10:29		RTK		32		1.09		0.62		0.9		9347		-1339		Yes		RTK		3D		0.6		984		1.27		1.157		0.748		3.437				WME		Water Meter

		UP2457		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2457		8/19/25 10:30		3725'1.1484"N		797'16.6074"W		68.946		403450.385		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		33		11		12.039		1.095		10.409		Yes		8/19/25 10:30		RTK		32		1.08		0.62		0.88		9452		-1339		Yes		RTK		3D		1.4		984		1.27		1.05		0.669		3.296				WME		Water Meter

		UP2458		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2458		8/19/25 10:30		3725'0.2354"N		797'16.4328"W		93.684		403544.069		0		UNKNOWN		49		32768		CLASSIC		OMNI PEAK		140		61.525		100		-5		7		16.807		-6.394		61.7		Yes		8/19/25 10:30		RTK		32		1.06		0.61		0.87		9443		-1339		Yes		RTK		3D		1.6		984		0.394		0.366		0.394		1.075				WME		Water Meter

		UP2459		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2459		8/19/25 10:34		3724'58.3805"N		797'15.7166"W		196.834		403740.903		0		UNKNOWN		20		32768		CLASSIC		OMNI PEAK		140		100		100		4		8		7.037		0.804		82.627		Yes		8/19/25 10:34		RTK		32		1.01		0.59		0.82		9501		-1339		Yes		RTK		3D		2.4		984		4.412		2.522		1.22		10.164				WME		Water Meter

		UP2460		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2460		8/19/25 10:34		3724'58.3645"N		797'15.7082"W		1.757		403742.66		0		UNKNOWN		26		32768		CLASSIC		OMNI PEAK		140		90.273		100		-3		9		6.845		-5.701		19.638		Yes		8/19/25 10:34		RTK		31		1.01		0.59		0.82		9500		-1339		Yes		RTK		3D		2		984		0.591		0.512		0.472		1.563				WME		Water Meter

		UP2461		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2461		8/19/25 10:35		3724'58.0779"N		797'14.5544"W		97.408		403840.068		0		UNKNOWN		29		32768		CLASSIC		OMNI PEAK		140		100		100		2		9		12.977		1.14		-62.13		Yes		8/19/25 10:35		RTK		32		1.16		0.65		0.97		9425		-1339		Yes		RTK		3D		2		984		0.85		0.672		0.551		2.168				WME		Water Meter

		UP2462		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2462		8/19/25 10:37		3725'1.0971"N		797'18.6395"W		449.626		404289.694		0		UNKNOWN		48		32768		CLASSIC		OMNI PEAK		140		63.168		100		-2		10		14.613		2.131		26.798		Yes		8/19/25 10:37		RTK		31		1.04		0.6		0.85		9687		-1339		Yes		RTK		3D		1		984		0.85		0.551		0.472		2.027				WME		Water Meter

		UP2463		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2463		8/19/25 10:38		3725'0.8862"N		797'19.2590"W		54.309		404344.003		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		39.982		100		4		10		10.595		-0.21		55.168		Yes		8/19/25 10:38		RTK		31		1.12		0.63		0.93		9667		-1339		Yes		RTK		3D		1.2		984		1.774		1.388		0.787		4.506				WME		Water Meter

		UP2464		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2464		8/19/25 10:38		3725'0.0761"N		797'20.2186"W		112.832		404456.835		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		100		100		39		9		15.573		0.715		78.232		Yes		8/19/25 10:38		RTK		32		1		0.59		0.8		9660		-1339		Yes		RTK		3D		1.6		984		3.593		2.207		1.102		8.434				WME		Water Meter

		UP2465		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2465		8/19/25 10:39		3724'59.8353"N		797'20.8439"W		56		404512.835		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		37.119		100		-5		10		17.569		-3.523		1.251		Yes		8/19/25 10:39		RTK		32		0.96		0.57		0.77		9628		-1339		Yes		RTK		3D		1.4		984		1.913		1.512		0.827		4.877				WME		Water Meter

		UP2466		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2466		8/19/25 10:40		3724'59.2285"N		797'25.7284"W		398.354		404911.189		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		1		11		12.323		1.411		27.732		Yes		8/19/25 10:40		RTK		32		0.93		0.55		0.74		9514		-1339		Yes		RTK		3D		1.4		984		0.512		0.472		0.394		1.393				WME		Water Meter

		UP2467		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2467		8/19/25 10:41		3724'58.8201"N		797'26.2801"W		60.765		404971.955		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		24.444		100		79		7		15.017		4.441		71.367		Yes		8/19/25 10:41		RTK		32		0.93		0.55		0.74		9569		-1339		Yes		RTK		3D		1.6		984		1.512		1.157		0.669		3.808				WME		Water Meter

		UP2468		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2468		8/19/25 10:42		3724'58.8768"N		797'26.6769"W		32.483		405004.437		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		140		100		100		2		12		14.003		2.903		-26.551		Yes		8/19/25 10:42		RTK		32		0.94		0.57		0.75		9562		-1339		Yes		RTK		3D		0.8		984		0.512		0.472		0.394		1.393				WME		Water Meter

		UP2469		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2469		8/19/25 10:42		3724'59.0292"N		797'27.8150"W		92.998		405097.435		0		UNKNOWN		11		32768		CLASSIC		OMNI PEAK		140		100		100		0		10		13.422		4.364		32.778		Yes		8/19/25 10:42		RTK		32		0.96		0.56		0.78		9549		-1339		Yes		RTK		3D		0.8		984		0.512		0.433		0.394		1.341				WME		Water Meter

		UP2470		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2470		8/19/25 10:44		3724'59.1220"N		797'28.5625"W		60.968		405158.403		0		UNKNOWN		51		32768		CLASSIC		OMNI PEAK		140		100		100		0		11		12.113		-1.928		-59.037		Yes		8/19/25 10:44		RTK		31		0.92		0.55		0.74		9537		-1339		Yes		RTK		3D		1.2		984		0.591		0.512		0.433		1.563				WME		Water Meter

		UP2471		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2471		8/19/25 10:45		3724'59.3506"N		797'30.4420"W		153.207		405311.61		0		UNKNOWN		9		32768		CLASSIC		OMNI PEAK		140		100		100		0		12		5.902		-2.619		-45.884		Yes		8/19/25 10:45		RTK		32		0.95		0.56		0.77		9483		-1339		Yes		RTK		3D		0.8		984		0.85		0.85		0.591		2.405				WME		Water Meter

		UP2472		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2472		8/19/25 10:45		3724'59.3370"N		797'31.1430"W		56.497		405368.107		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		-2		11		8.202		3.548		40.578		Yes		8/19/25 10:45		RTK		32		0.98		0.59		0.78		9425		-1339		Yes		RTK		3D		0.8		984		0.591		0.512		0.433		1.563				WME		Water Meter

		UP2473		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2473		8/19/25 10:45		3724'59.3288"N		797'31.2036"W		4.958		405373.065		0		UNKNOWN		16		32768		CLASSIC		OMNI PEAK		140		100		100		8		9		8.197		0.071		-1.147		Yes		8/19/25 10:45		RTK		32		0.92		0.55		0.74		9418		-1339		Yes		RTK		3D		0.8		984		1.512		0.85		0.591		3.469				WME		Water Meter

		UP2474		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2474		8/19/25 10:46		3724'59.6246"N		797'32.2173"W		87.016		405460.081		0		UNKNOWN		112		32768		CLASSIC		OMNI PEAK		140		52.26		100		8		10		2.791		2.998		-34.977		Yes		8/19/25 10:46		RTK		32		0.95		0.56		0.77		9297		-1339		Yes		RTK		3D		1.2		984		1.913		0.672		0.591		4.056				WME		Water Meter

		UP2475		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2475		8/19/25 10:46		3724'59.0291"N		797'32.6605"W		70.18		405530.261		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		34.191		100		-3		11		14.705		3.933		-68.844		Yes		8/19/25 10:46		RTK		32		0.95		0.56		0.77		9243		-1339		Yes		RTK		3D		1		984		0.512		0.433		0.394		1.341				WME		Water Meter

		UP2476		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2476		8/19/25 10:46		3724'58.9640"N		797'32.9104"W		21.189		405551.45		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		3		10		8.181		5.965		-22.273		Yes		8/19/25 10:46		RTK		32		1.01		0.59		0.81		9205		-1339		Yes		RTK		3D		1		984		1.512		0.948		0.669		3.568				WME		Water Meter

		UP2477		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2477		8/19/25 10:48		3724'59.1878"N		797'33.9287"W		85.127		405636.577		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		33.424		100		0		13		4.82		-3.7		-78.68		Yes		8/19/25 10:48		FLOAT RTK		32		1.01		0.58		0.82		9119		-1339		Yes		FLOAT RTK		3D		2.2		984		4.785		2.761		0.591		11.049				WME		Water Meter

		UP2478		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2478		8/19/25 10:48		3724'58.7581"N		797'34.1965"W		48.637		405685.214		0		UNKNOWN		227		32768		CLASSIC		OMNI PEAK		140		60.729		100		12		9		18.662		9.237		16.633		Yes		8/19/25 10:48		RTK		32		0.91		0.55		0.73		9085		-1339		Yes		RTK		3D		1.6		984		1.157		0.672		0.591		2.677				WME		Water Meter

		UP2479		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2479		8/19/25 10:51		3724'58.3321"N		797'36.3381"W		177.894		405863.108		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		140		100		100		4		11		11.618		2.697		-29.729		Yes		8/19/25 10:51		RTK		30		1.06		0.6		0.87		8932		-1339		Yes		RTK		3D		1.6		984		0.948		0.672		0.551		2.323				WME		Water Meter

		UP2480		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2480		8/19/25 10:51		3724'58.3412"N		797'36.3957"W		4.733		405867.841		0		UNKNOWN		51		32768		CLASSIC		OMNI PEAK		140		86.416		100		0		10		12.132		3.154		60.25		Yes		8/19/25 10:51		RTK		29		1.07		0.61		0.88		8930		-1339		Yes		RTK		3D		1.6		984		0.672		0.512		0.472		1.689				WME		Water Meter

		UP2481		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2481		8/19/25 10:52		3724'57.6285"N		797'36.6016"W		74.186		405942.026		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		3.613		100		-8		11		9.951		-1.264		-25.968		Yes		8/19/25 10:52		RTK		31		1.01		0.59		0.82		8925		-1339		Yes		RTK		3D		1.4		984		1.05		0.759		0.63		2.59				WME		Water Meter

		UP2482		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2482		8/19/25 10:53		3724'56.5632"N		797'37.9321"W		152.234		406094.26		0		UNKNOWN		74		32768		CLASSIC		OMNI PEAK		140		100		100		1		7		9.664		0.191		-66.736		Yes		8/19/25 10:53		RTK		31		1.11		0.65		0.9		8735		-1339		Yes		RTK		3D		0.8		984		1.512		0.759		0.709		3.383				WME		Water Meter

		UP2483		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2483		8/19/25 10:53		3724'57.1587"N		797'37.7970"W		61.389		406155.649		0		UNKNOWN		5		32768		CLASSIC		OMNI PEAK		140		100		100		4		12		9.94		-0.927		-19.615		Yes		8/19/25 10:53		RTK		31		1.07		0.62		0.87		8725		-1339		Yes		RTK		3D		0.8		984		1.64		1.157		0.63		4.015				WME		Water Meter

		UP2484		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2484		8/19/25 10:54		3724'57.1454"N		797'37.8086"W		1.641		406157.29		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		41.891		100		-4		9		10.081		2.083		-6.163		Yes		8/19/25 10:54		RTK		31		1.07		0.61		0.88		8730		-1339		Yes		RTK		3D		1.6		984		1.05		0.672		0.512		2.493				WME		Water Meter

		UP2485		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2485		8/19/25 10:55		3724'55.3745"N		797'39.1338"W		208.989		406366.279		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		17.482		100		-17		12		10.004		1.576		-51.792		Yes		8/19/25 10:55		RTK		32		1.11		0.62		0.92		8744		-1339		Yes		RTK		3D		1.6		984		0.672		0.591		0.472		1.789				WME		Water Meter

		UP2486		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2486		8/19/25 10:55		3724'54.7119"N		797'39.5669"W		75.742		406442.021		0		UNKNOWN		64		32768		CLASSIC		OMNI PEAK		140		100		100		-1		5		8.739		4.015		68.902		Yes		8/19/25 10:55		RTK		32		1.11		0.62		0.92		8797		-1339		Yes		RTK		3D		1.8		984		1.388		1.05		0.669		3.481				WME		Water Meter

		UP2487		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2487		8/19/25 10:57		3724'54.6978"N		797'40.0095"W		35.692		406477.714		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		57.789		100		-6		8		7.359		-7.449		2.272		Yes		8/19/25 10:58		RTK		32		1.11		0.62		0.92		8823		-1339		Yes		RTK		3D		1.4		984		2.058		1.64		0.827		5.263				WME		Water Meter

		UP2488		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2488		8/19/25 10:59		3724'54.7107"N		797'39.5678"W		35.615		406513.328		0		UNKNOWN		103		32768		CLASSIC		OMNI PEAK		140		100		100		-3		10		8.45		1.395		-26.367		Yes		8/19/25 10:59		RTK		32		1.11		0.62		0.91		8795		-1339		Yes		RTK		3D		1		984		1.27		0.591		0.551		2.802				WME		Water Meter

		UP2489		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2489		8/19/25 10:59		3724'54.2333"N		797'40.2456"W		73		406586.328		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		58.985		100		1		12		7.926		-2.455		-70.336		Yes		8/19/25 10:59		RTK		30		1.11		0.62		0.91		8831		-1339		Yes		RTK		3D		1.2		984		0.948		0.85		0.591		2.546				WME		Water Meter

		UP2490		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2490		8/19/25 10:59		3724'54.1372"N		797'40.2939"W		10.49		406596.818		0		UNKNOWN		30		32768		CLASSIC		OMNI PEAK		140		100		100		-1		1		14.828		-3.487		-33.321		Yes		8/19/25 10:59		RTK		30		1.31		0.71		1.1		8824		-1339		Yes		RTK		3D		1.4		984		0.85		0.672		0.591		2.168				WME		Water Meter

		UP2491		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2491		8/19/25 11:00		3724'53.1684"N		797'40.0997"W		99.53		406696.348		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		36.206		100		-1		6		12.388		-2.445		-2.727		Yes		8/19/25 11:00		RTK		30		1.15		0.64		0.96		8815		-1339		Yes		RTK		3D		1.4		984		0.85		0.759		0.551		2.279				WME		Water Meter

		UP2492		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2492		8/19/25 11:02		3724'51.1123"N		797'41.3294"W		230.926		406927.274		0		UNKNOWN		31		32768		CLASSIC		OMNI PEAK		140		100		100		5		12		8.583		4.72		16.782		Yes		8/19/25 11:02		RTK		31		1.17		0.66		0.97		8536		-1339		Yes		RTK		3D		1.2		984		0.512		0.433		0.394		1.341				WME		Water Meter

		UP2493		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2493		8/19/25 11:02		3724'51.0864"N		797'41.4591"W		10.78		406938.054		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		40.37		100		4		9		18.053		-22.121		7.729		Yes		8/19/25 11:02		RTK		29		1.17		0.66		0.97		8536		-1339		Yes		RTK		3D		0.8		984		1.05		0.85		0.748		2.702				WME		Water Meter

		UP2494		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2494		8/19/25 11:03		3724'50.3467"N		797'43.9886"W		217.196		407155.25		0.001		UNKNOWN		15148		32768		CLASSIC		OMNI PEAK		140		39.898		100		0		9		15.296		-4.907		-55.808		Yes		8/19/25 11:03		RTK		29		1.04		0.6		0.85		8460		-1339		Yes		RTK		3D		1.4		984		0.672		0.551		0.512		1.738				WME		Water Meter

		UP2495		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2495		8/19/25 11:03		3724'50.5770"N		797'44.2570"W		31.847		407187.098		0		UNKNOWN		35		32768		CLASSIC		OMNI PEAK		140		48.74		100		0		7		7.931		1.608		-5.528		Yes		8/19/25 11:03		RTK		30		1.04		0.6		0.85		8438		-1339		Yes		RTK		3D		1.4		984		3.593		2.522		1.102		8.78				WME		Water Meter

		UP2496		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2496		8/19/25 11:04		3724'50.3838"N		797'44.9483"W		59.052		407246.15		0		UNKNOWN		5		32768		CLASSIC		OMNI PEAK		140		100		100		0		12		10.634		0.543		9.71		Yes		8/19/25 11:04		RTK		30		1.1		0.64		0.9		8360		-1339		Yes		RTK		3D		1.4		984		1.27		0.672		0.512		2.874				WME		Water Meter

		UP2497		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2497		8/19/25 11:04		3724'49.9869"N		797'46.2150"W		109.721		407355.871		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		3		11		9.096		-0.906		-26.992		Yes		8/19/25 11:04		RTK		31		1.14		0.63		0.95		8308		-1339		Yes		RTK		3D		1.6		984		1.64		1.27		0.709		4.15				WME		Water Meter

		UP2498		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2498		8/19/25 11:11		3725'23.8299"N		797'49.9490"W		0		407355.871		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		8.747		100		-3		8		7.176		-0.488		44.268		Yes		8/19/25 11:11		RTK		27		1.51		0.74		1.31		8156		-1338		Yes		RTK		3D		1.4		984		2.858		1.774		0.945		6.728				WME		Water Meter

		UP2499		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2499		8/19/25 11:12		3725'22.8900"N		797'51.0756"W		131.651		407487.522		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		140		100		100		2		10		15.334		-1.369		55.978		Yes		8/19/25 11:12		RTK		27		1.27		0.69		1.07		8162		-1338		Yes		RTK		3D		2		984		0.948		0.551		0.551		2.192				WME		Water Meter

		UP2500		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2500		8/19/25 11:13		3725'21.2751"N		797'53.5407"W		257.461		407744.983		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		-2		8		12.073		-2.753		63.01		Yes		8/19/25 11:13		RTK		30		1.5		0.73		1.31		8039		-1338		Yes		RTK		3D		0.8		984		0.948		0.551		0.551		2.192				WME		Water Meter

		UP2501		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2501		8/19/25 11:15		3725'22.3737"N		797'53.1364"W		116.113		407861.096		0		UNKNOWN		24		32768		CLASSIC		OMNI PEAK		140		69.509		100		-1		9		13.492		-0.246		-58.229		Yes		8/19/25 11:15		RTK		28		1.2		0.65		1.01		8112		-1338		Yes		RTK		3D		1.2		984		1.05		0.551		0.591		2.372				WME		Water Meter

		UP2502		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2502		8/19/25 11:15		3725'22.2170"N		797'53.4793"W		31.871		407892.967		0		UNKNOWN		11		32768		CLASSIC		OMNI PEAK		140		100		100		0		12		17.869		-4.532		-18.065		Yes		8/19/25 11:15		RTK		30		1.14		0.63		0.95		8082		-1338		Yes		RTK		3D		1.2		984		1.512		0.759		0.63		3.383				WME		Water Meter

		UP2503		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2503		8/19/25 11:19		3725'4.1103"N		798'11.0627"W		2319.796		410212.762		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		3.754		100		-26		6		20.312		-2.088		45.432		Yes		8/19/25 11:19		FLOAT RTK		29		1.15		0.64		0.95		7165		-1338		Yes		FLOAT RTK		3D		1		984		2.761		2.209		0.394		7.071				WME		Water Meter

		UP2504		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2504		8/19/25 11:20		3725'3.6648"N		798'13.1556"W		174.585		410387.347		0		UNKNOWN		45		32768		CLASSIC		OMNI PEAK		140		83.838		100		-2		9		11.019		-1.822		20.316		Yes		8/19/25 11:20		RTK		29		1.2		0.67		0.99		6731		-1338		Yes		RTK		3D		0.6		984		0.85		0.551		0.433		2.027				WME		Water Meter

		UP2505		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2505		8/19/25 11:22		3725'8.5819"N		798'16.6689"W		573.565		410960.912		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		43.835		100		-19		8		7.927		-1.582		-23.844		Yes		8/19/25 11:22		RTK		29		1.15		0.64		0.95		6707		-1338		Yes		RTK		3D		1.4		984		0.672		0.433		0.433		1.599				WME		Water Meter

		UP2506		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2506		8/19/25 11:22		3725'7.6833"N		798'16.3780"W		94.122		411055.034		0		UNKNOWN		37		32768		CLASSIC		OMNI PEAK		140		81.039		100		0		12		15.217		-5.188		-35.341		Yes		8/19/25 11:22		RTK		28		1.28		0.67		1.09		6710		-1338		Yes		RTK		3D		1.4		984		0.591		0.512		0.394		1.563				WME		Water Meter

		UP2507		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2507		8/19/25 11:23		3725'9.2668"N		798'16.1440"W		161.745		411216.779		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		33.256		100		1		11		10.835		-0.17		-50.115		Yes		8/19/25 11:23		RTK		28		1.65		0.83		1.43		6738		-1338		Yes		RTK		3D		1.2		984		3.215		1.388		0.945		7.004				WME		Water Meter

		UP2508		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2508		8/19/25 11:26		3725'18.7590"N		797'55.1925"W		1943.455		413160.234		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		1		9		11.921		-1.06		-24.461		Yes		8/19/25 11:26		FLOAT RTK		27		1.36		0.7		1.17		7987		-1338		Yes		FLOAT RTK		3D		1.2		984		5.338		3.129		0.669		12.374				WME		Water Meter

		UP2509		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2509		8/19/25 11:29		3725'19.4415"N		797'30.9950"W		1950.826		415111.06		0		UNKNOWN		33		32768		CLASSIC		OMNI PEAK		140		79.991		100		31		9		8.134		0.658		47.944		Yes		8/19/25 11:29		RTK		29		1.36		0.7		1.16		9565		-1339		Yes		RTK		3D		1		984		2.362		1.05		0.748		5.17				WME		Water Meter

		UP2510		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2510		8/19/25 11:30		3725'19.0828"N		797'30.6283"W		46.867		415157.927		0		UNKNOWN		84		32768		CLASSIC		OMNI PEAK		140		47.654		100		-3		11		11.54		1.898		88.31		Yes		8/19/25 11:30		RTK		29		1.36		0.7		1.16		9543		-1339		Yes		RTK		3D		1.2		984		0.551		0.378		0.394		1.337				WME		Water Meter

		UP2511		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2511		8/19/25 11:30		3725'18.5058"N		797'30.0720"W		73.728		415231.655		0		UNKNOWN		9		32768		CLASSIC		OMNI PEAK		140		100		100		3		11		18.153		0.062		59.888		Yes		8/19/25 11:30		RTK		29		1.36		0.7		1.16		9511		-1339		Yes		RTK		3D		1.4		984		0.672		0.472		0.394		1.643				WME		Water Meter

		UP2512		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2512		8/19/25 11:32		3725'16.4838"N		797'31.4678"W		233.943		415465.598		0		UNKNOWN		167		32768		CLASSIC		OMNI PEAK		140		22.276		100		4		11		11.92		0.23		-11.497		Yes		8/19/25 11:32		RTK		30		1.13		0.6		0.96		9348		-1339		Yes		RTK		3D		1.4		984		0.672		0.472		0.394		1.643				WME		Water Meter

		UP2513		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2513		8/19/25 11:33		3725'15.4371"N		797'30.4094"W		136.191		415601.789		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		100		100		3		11		18.905		-3.063		-34.423		Yes		8/19/25 11:33		RTK		30		1.13		0.6		0.96		9351		-1339		Yes		RTK		3D		1.4		984		1.05		0.591		0.512		2.409				WME		Water Meter

		UP2514		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2514		8/19/25 11:33		3725'14.7372"N		797'29.6857"W		91.88		415693.669		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		-1		11		0.515		0.086		-13.738		Yes		8/19/25 11:33		RTK		30		1.14		0.6		0.96		9229		-1339		Yes		RTK		3D		1.6		984		0.85		0.591		0.512		2.071				WME		Water Meter

		UP2515		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2515		8/19/25 11:34		3725'14.9080"N		797'29.5005"W		22.871		415716.54		0		UNKNOWN		14		32768		CLASSIC		OMNI PEAK		140		100		100		0		11		32.815		-7.361		-12.841		Yes		8/19/25 11:34		RTK		31		1.07		0.58		0.9		9265		-1339		Yes		RTK		3D		0.6		984		0.759		0.472		0.433		1.787				WME		Water Meter

		UP2516		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2516		8/19/25 11:34		3725'14.9080"N		797'29.5005"W		0		415716.54		0		UNKNOWN		14		32768		CLASSIC		OMNI PEAK		140		100		100		0		11		32.815		-7.361		-12.841		Yes		8/19/25 11:34		RTK		31		1.07		0.58		0.9		9265		-1339		Yes		RTK		3D		0.6		984		0.759		0.472		0.433		1.787				WME		Water Meter

		UP2517		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2517		8/19/25 11:34		3725'14.9144"N		797'29.4682"W		2.685		415719.225		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		-16		10		29.512		0.37		23.89		Yes		8/19/25 11:34		RTK		31		1.07		0.58		0.9		9245		-1339		Yes		RTK		3D		1.2		984		1.27		0.759		0.551		2.959				WME		Water Meter

		UP2518		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2518		8/19/25 11:37		3725'15.8507"N		797'30.8196"W		144.493		415863.718		0		UNKNOWN		22		32768		CLASSIC		OMNI PEAK		140		36.495		100		16		10		10.516		-1.974		-36.095		Yes		8/19/25 11:37		RTK		30		1.08		0.57		0.91		9372		-1339		Yes		RTK		3D		1.2		984		0.948		0.551		0.472		2.192				WME		Water Meter

		UP2519		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2519		8/19/25 11:38		3725'13.8685"N		797'29.4017"W		231.28		416094.998		0		UNKNOWN		224		32768		CLASSIC		OMNI PEAK		140		47.404		100		11		10		17.329		-4.564		-65.652		Yes		8/19/25 11:38		RTK		31		1.15		0.61		0.97		9150		-1339		Yes		RTK		3D		0.6		984		1.157		0.591		0.512		2.599				WME		Water Meter

		UP2520		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2520		8/19/25 11:38		3725'13.8535"N		797'29.4118"W		1.727		416096.725		0		UNKNOWN		170		32768		CLASSIC		OMNI PEAK		140		27.176		100		-12		10		15.811		-3.645		56.889		Yes		8/19/25 11:38		RTK		31		1.15		0.61		0.97		9150		-1339		Yes		RTK		3D		1		984		0.472		0.358		0.394		1.186				WME		Water Meter

		UP2521		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2521		8/19/25 11:39		3725'10.4898"N		797'29.8815"W		343.343		416440.068		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		51.723		100		0		12		16.816		-2.653		19.816		Yes		8/19/25 11:39		RTK		32		1.15		0.61		0.98		8923		-1339		Yes		RTK		3D		1		984		0.85		0.512		0.433		1.985				WME		Water Meter

		UP2522		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2522		8/19/25 11:40		3725'10.3090"N		797'30.3454"W		41.634		416481.701		0		UNKNOWN		13		32768		CLASSIC		OMNI PEAK		140		100		100		7		8		7.639		-1.798		52.223		Yes		8/19/25 11:40		RTK		32		1.15		0.61		0.98		8923		-1339		Yes		RTK		3D		1		984		1.05		0.672		0.591		2.493				WME		Water Meter

		UP2523		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2523		8/19/25 11:40		3725'10.2979"N		797'30.3608"W		1.678		416483.379		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		5		11		5.64		0.689		-5.986		Yes		8/19/25 11:40		RTK		32		1.15		0.6		0.98		8922		-1339		Yes		RTK		3D		2.2		984		1.05		0.672		0.551		2.493				WME		Water Meter

		UP2524		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2524		8/19/25 11:40		3725'9.7873"N		797'30.7451"W		60.353		416543.732		0		UNKNOWN		31		32768		CLASSIC		OMNI PEAK		140		100		100		-6		5		10.536		-2.266		16.954		Yes		8/19/25 11:40		RTK		31		1.15		0.6		0.98		8862		-1339		Yes		RTK		3D		1.6		984		0.759		0.512		0.472		1.83				WME		Water Meter

		UP2525		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2525		8/19/25 11:41		3725'9.1252"N		797'31.5277"W		92.13		416635.863		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		-4		11		8.31		5.04		-35.577		Yes		8/19/25 11:41		RTK		32		1.15		0.6		0.98		8751		-1339		Yes		RTK		3D		1		984		1.64		0.551		0.551		3.461				WME		Water Meter

		UP2526		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2526		8/19/25 11:41		3725'9.2314"N		797'31.0674"W		38.625		416674.488		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		18.285		100		22		7		18.156		-5.923		-72.023		Yes		8/19/25 11:41		RTK		31		1.15		0.6		0.98		8790		-1339		Yes		RTK		3D		1		984		1.913		1.27		0.709		4.593				WME		Water Meter

		UP2527		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2527		8/19/25 11:43		3725'15.3440"N		797'32.5910"W		632.162		417306.65		0		UNKNOWN		17		32768		CLASSIC		OMNI PEAK		140		100		100		1		11		12.927		2.613		-9.858		Yes		8/19/25 11:43		RTK		30		1.11		0.58		0.94		9247		-1339		Yes		RTK		3D		1.2		984		0.948		0.551		0.472		2.192				WME		Water Meter

		UP2528		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2528		8/19/25 11:44		3725'14.9955"N		797'33.2942"W		66.785		417373.435		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		20.585		100		24		6		15.188		3.38		-55.478		Yes		8/19/25 11:44		RTK		30		1.11		0.58		0.94		9177		-1339		Yes		RTK		3D		0.8		984		1.157		0.672		0.551		2.677				WME		Water Meter

		UP2529		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2529		8/19/25 11:44		3725'14.9148"N		797'33.9463"W		53.175		417426.61		0		UNKNOWN		46		32768		CLASSIC		OMNI PEAK		140		37.655		100		0		9		15.63		-6.884		-46.686		Yes		8/19/25 11:44		RTK		31		1.11		0.58		0.94		9102		-1339		Yes		RTK		3D		1.6		984		1.64		0.85		0.63		3.695				WME		Water Meter

		UP2530		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2530		8/19/25 11:45		3725'14.1885"N		797'34.4796"W		85.298		417511.907		0		UNKNOWN		231		32768		CLASSIC		OMNI PEAK		140		29.774		100		-5		10		12.571		0.762		51.869		Yes		8/19/25 11:45		RTK		31		1.11		0.58		0.95		9019		-1339		Yes		RTK		3D		0.6		984		1.512		1.157		0.748		3.808				WME		Water Meter

		UP2531		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2531		8/19/25 11:45		3725'14.1461"N		797'34.5356"W		6.234		417518.141		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		9.96		100		-4		11		13.558		2.468		21.911		Yes		8/19/25 11:45		RTK		31		1.11		0.58		0.95		9011		-1339		Yes		RTK		3D		0.8		984		1.05		0.672		0.551		2.493				WME		Water Meter

		UP2532		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2532		8/19/25 11:45		3725'14.1108"N		797'34.5666"W		4.363		417522.503		0		UNKNOWN		7		32768		CLASSIC		OMNI PEAK		140		87.193		100		9		11		10.223		3.238		12.1		Yes		8/19/25 11:45		RTK		29		1.12		0.59		0.95		9008		-1339		Yes		RTK		3D		2		984		1.774		0.759		0.551		3.859				WME		Water Meter

		UP2533		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2533		8/19/25 11:45		3725'14.0972"N		797'34.5811"W		1.809		417524.312		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		12.869		100		12		12		11.882		3.863		-17.886		Yes		8/19/25 11:45		RTK		31		1.11		0.58		0.95		9005		-1339		Yes		RTK		3D		1.4		984		1.27		0.591		0.472		2.802				WME		Water Meter

		UP2534		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2534		8/19/25 11:47		3725'18.3071"N		797'32.7489"W		451.887		417976.199		0		UNKNOWN		36		32768		CLASSIC		OMNI PEAK		140		100		100		-6		9		18.178		-2.267		-55.204		Yes		8/19/25 11:47		RTK		31		1.21		0.64		1.03		9419		-1339		Yes		RTK		3D		1.6		984		0.672		0.551		0.433		1.738				WME		Water Meter

		UP2535		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2535		8/19/25 11:48		3725'18.2916"N		797'33.9000"W		92.759		418068.958		0		UNKNOWN		11		32768		CLASSIC		OMNI PEAK		140		100		100		4		9		18.112		-5.146		79.345		Yes		8/19/25 11:48		RTK		29		1.12		0.58		0.95		9405		-1339		Yes		RTK		3D		1.2		984		0.591		0.512		0.394		1.563				WME		Water Meter

		UP2536		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2536		8/19/25 11:49		3725'17.6368"N		797'34.9779"W		109.342		418178.3		0		UNKNOWN		22		32768		CLASSIC		OMNI PEAK		140		100		100		42		8		5.159		1.969		-85.911		Yes		8/19/25 11:49		RTK		30		1.19		0.63		1.01		9358		-1339		Yes		RTK		3D		1.2		984		0.85		0.512		0.512		1.985				WME		Water Meter

		UP2537		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2537		8/19/25 11:49		3725'17.6188"N		797'35.0068"W		2.955		418181.255		0		UNKNOWN		71		32768		CLASSIC		OMNI PEAK		140		100		100		-2		7		15.168		-1.638		83.22		Yes		8/19/25 11:49		RTK		30		1.35		0.7		1.15		9358		-1339		Yes		RTK		3D		1		984		1.27		0.512		0.591		2.739				WME		Water Meter

		UP2538		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2538		8/19/25 11:49		3725'17.2404"N		797'35.6030"W		61.49		418242.746		0.001		UNKNOWN		1148		32768		CLASSIC		OMNI PEAK		140		75.495		100		37		6		12.45		-2.27		75.527		Yes		8/19/25 11:49		RTK		31		1.24		0.63		1.06		9357		-1339		Yes		RTK		3D		1.4		984		1.05		0.551		0.472		2.372				WME		Water Meter

		UP2539		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2539		8/19/25 11:50		3725'17.1109"N		797'36.3395"W		60.782		418303.527		0		UNKNOWN		39		32768		CLASSIC		OMNI PEAK		140		100		100		-4		4		12.394		-0.157		-58.097		Yes		8/19/25 11:50		RTK		30		1.15		0.6		0.98		9347		-1339		Yes		RTK		3D		0.6		984		1.05		0.591		0.512		2.409				WME		Water Meter

		UP2540		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2540		8/19/25 11:51		3725'16.5090"N		797'36.7343"W		68.847		418372.374		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		1.144		100		50		6		11.418		-2.091		-47.1		Yes		8/19/25 11:51		RTK		30		1.12		0.58		0.96		9360		-1339		Yes		RTK		3D		1.6		984		1.27		0.948		0.551		3.17				WME		Water Meter

		UP2541		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2541		8/19/25 11:51		3725'16.0304"N		797'37.5025"W		78.668		418451.042		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		31.119		100		16		8		12.013		4.329		45.019		Yes		8/19/25 11:51		RTK		31		1.12		0.58		0.96		9322		-1339		Yes		RTK		3D		1.6		984		1.774		0.551		0.512		3.716				WME		Water Meter

		UP2542		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2542		8/19/25 11:52		3725'16.1846"N		797'37.8030"W		28.829		418479.872		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		15.573		100		-27		5		9.495		-2.037		31.35		Yes		8/19/25 11:52		RTK		31		1.18		0.6		1.01		9325		-1339		Yes		RTK		3D		1.4		984		1.05		0.512		0.433		2.336				WME		Water Meter

		UP2543		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2543		8/19/25 11:52		3725'15.8908"N		797'38.2540"W		46.997		418526.869		0		UNKNOWN		8		32768		CLASSIC		OMNI PEAK		140		100		100		-34		12		11.654		-5.491		8.35		Yes		8/19/25 11:52		RTK		30		1.12		0.58		0.96		9290		-1339		Yes		RTK		3D		0.6		984		2.058		0.672		0.63		4.329				WME		Water Meter

		UP2544		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2544		8/19/25 11:52		3725'15.6533"N		797'38.0915"W		27.421		418554.29		0		UNKNOWN		579		32768		CLASSIC		OMNI PEAK		140		41.663		100		10		12		10.077		1.672		72.013		Yes		8/19/25 11:52		RTK		31		1.12		0.58		0.96		9301		-1339		Yes		RTK		3D		1.4		984		1.774		0.591		0.591		3.74				WME		Water Meter

		UP2545		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2545		8/19/25 11:53		3725'15.4070"N		797'39.0179"W		78.715		418633.005		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		22.582		100		0		12		9.287		4.091		83.303		Yes		8/19/25 11:53		RTK		31		1.12		0.58		0.96		9240		-1339		Yes		RTK		3D		0.6		984		0.551		0.472		0.394		1.452				WME		Water Meter

		UP2546		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2546		8/19/25 11:53		3725'15.0408"N		797'39.0831"W		37.515		418670.52		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		72.046		100		6		9		5.328		2.491		-10.156		Yes		8/19/25 11:53		RTK		31		1.12		0.58		0.97		9222		-1339		Yes		RTK		3D		1.4		984		0.512		0.472		0.394		1.393				WME		Water Meter

		UP2547		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2547		8/19/25 11:54		3725'14.8344"N		797'39.5230"W		41.166		418711.686		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		38.752		100		-8		12		6.219		4.355		0.061		Yes		8/19/25 11:54		RTK		31		1.12		0.58		0.97		9161		-1339		Yes		RTK		3D		1.2		984		1.05		0.591		0.512		2.409				WME		Water Meter

		UP2548		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2548		8/19/25 11:55		3725'14.2314"N		797'40.4509"W		96.606		418808.292		0		UNKNOWN		31		32768		CLASSIC		OMNI PEAK		140		100		100		0		7		28.022		6.941		-29.748		Yes		8/19/25 11:55		RTK		31		1.13		0.57		0.97		9045		-1339		Yes		RTK		3D		1.2		984		0.551		0.472		0.394		1.452				WME		Water Meter

		UP2549		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2549		8/19/25 11:55		3725'14.0754"N		797'40.6944"W		25.204		418833.495		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.016		100		-23		9		15.575		4.314		37.525		Yes		8/19/25 11:55		RTK		30		1.13		0.57		0.97		9011		-1339		Yes		RTK		3D		1.2		984		0.672		0.512		0.394		1.689				WME		Water Meter

		UP2550		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2550		8/19/25 11:55		3725'13.8762"N		797'41.5349"W		70.669		418904.165		0		UNKNOWN		168		32768		CLASSIC		OMNI PEAK		140		70.697		100		0		10		5.101		3.954		17.009		Yes		8/19/25 11:55		FLOAT RTK		31		1.13		0.57		0.97		8926		-1339		Yes		FLOAT RTK		3D		0.8		984		4.785		3.681		0.748		12.075				WME		Water Meter

		UP2551		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2551		8/19/25 11:56		3725'13.6368"N		797'41.9578"W		41.847		418946.012		0		UNKNOWN		48		32768		CLASSIC		OMNI PEAK		140		70.151		100		4		12		2.275		0.62		64.122		Yes		8/19/25 11:56		RTK		31		1.13		0.57		0.97		8809		-1339		Yes		RTK		3D		0.6		984		2.688		1.512		0.787		6.167				WME		Water Meter

		UP2552		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2552		8/19/25 11:56		3725'13.2870"N		797'42.5003"W		56.3		419002.312		0		UNKNOWN		26		32768		CLASSIC		OMNI PEAK		140		69.04		100		-6		5		9.595		-3.01		14.688		Yes		8/19/25 11:56		RTK		31		1.13		0.57		0.97		8730		-1339		Yes		RTK		3D		1.4		984		1.05		0.591		0.512		2.409				WME		Water Meter

		UP2553		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2553		8/19/25 11:58		3725'15.4078"N		797'39.0158"W		353.71		419356.022		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		65.072		100		-13		11		6.679		-1.04		48.206		Yes		8/19/25 11:58		RTK		31		1.13		0.57		0.97		9239		-1339		Yes		RTK		3D		1.6		984		0.512		0.433		0.394		1.341				WME		Water Meter

		UP2554		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2554		8/19/25 11:58		3725'15.8914"N		797'38.2518"W		78.713		419434.735		0		UNKNOWN		14		32768		CLASSIC		OMNI PEAK		140		100		100		-23		9		18.568		3.891		-55.875		Yes		8/19/25 11:58		RTK		31		1.13		0.57		0.97		9295		-1339		Yes		RTK		3D		0.8		984		1.05		0.551		0.472		2.372				WME		Water Meter

		UP2555		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2555		8/19/25 11:58		3725'16.1832"N		797'37.8046"W		46.635		419481.37		0		UNKNOWN		129		32768		CLASSIC		OMNI PEAK		140		100		100		4		9		9.203		-1.678		55.934		Yes		8/19/25 11:58		RTK		31		1.13		0.57		0.97		9324		-1339		Yes		RTK		3D		1		984		1.64		0.672		0.551		3.545				WME		Water Meter

		UP2556		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		2556		8/19/25 13:10		3725'11.8104"N		797'41.9654"W		556.04		420037.41		0		UNKNOWN		14		32768		CLASSIC		OMNI PEAK		140		74.195		100		0		4		10.076		3.831		-70.049		Yes		8/19/25 13:10		GPS SPS VALID		21		1.42		0.68		1.25		8511		-1339		Yes		AUTONOMOUS		3D		0		0		77.953		56.299		62.992		192.315				WME		Water Meter

		UP2557		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2557		8/19/25 13:10		3725'11.7475"N		797'41.9379"W		6.756		420044.165		0		UNKNOWN		2465		32768		CLASSIC		OMNI PEAK		140		18.609		100		0		10		14.848		2.295		-80.115		Yes		8/19/25 13:10		FLOAT RTK		21		1.38		0.78		1.14		8533		-1339		Yes		FLOAT RTK		3D		2.2		1371		68.1		58.898		11.811		180.073				WME		Water Meter

		UP2558		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2558		8/19/25 13:11		3725'10.3689"N		797'40.0645"W		205.781		420249.947		0		UNKNOWN		21		32768		CLASSIC		OMNI PEAK		140		100		100		-1		11		24.967		-9.433		-5.16		Yes		8/19/25 13:11		RTK		22		1.31		0.74		1.08		8467		-1339		Yes		RTK		3D		1.4		1371		1.64		0.85		0.748		3.695				WME		Water Meter

		UP2559		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2559		8/19/25 13:11		3725'10.3609"N		797'40.0718"W		0.997		420250.944		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		12.122		100		23		12		6.107		-4.431		-39.752		Yes		8/19/25 13:11		RTK		22		1.22		0.69		1		8457		-1339		Yes		RTK		3D		1.8		1371		3.992		1.774		1.102		8.737				WME		Water Meter

		UP2560		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2560		8/19/25 13:12		3725'9.7561"N		797'40.0856"W		61.362		420312.306		0		UNKNOWN		7		32768		CLASSIC		OMNI PEAK		140		100		100		0		12		10.057		-2.966		28.431		Yes		8/19/25 13:12		RTK		24		1.1		0.65		0.89		8346		-1339		Yes		RTK		3D		1.4		1371		8.829		3.034		1.417		18.672				WME		Water Meter

		UP2561		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2561		8/19/25 13:13		3725'8.8707"N		797'38.5115"W		155.414		420467.72		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		16.65		100		-7		8		10.401		-0.662		20.956		Yes		8/19/25 13:13		RTK		25		1.03		0.6		0.84		8422		-1339		Yes		RTK		3D		1		1371		0.551		0.394		0.394		1.355				WME		Water Meter

		UP2562		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2562		8/19/25 13:14		3725'8.8594"N		797'38.5010"W		1.431		420469.152		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		24.958		100		1		8		6.36		2.447		-14.301		Yes		8/19/25 13:14		RTK		25		1.03		0.6		0.84		8426		-1339		Yes		RTK		3D		1.2		1371		1.512		0.85		0.591		3.469				WME		Water Meter

		UP2563		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2563		8/19/25 13:15		3725'7.6175"N		797'37.8643"W		136.032		420605.184		0		UNKNOWN		18		32768		CLASSIC		OMNI PEAK		140		96.963		100		-6		6		8.054		-0.849		36.474		Yes		8/19/25 13:15		FLOAT RTK		26		0.99		0.58		0.81		8548		-1339		Yes		FLOAT RTK		3D		1.6		1371		5.154		4.049		1.142		13.108				WME		Water Meter

		UP2564		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2564		8/19/25 13:15		3725'7.4504"N		797'37.0829"W		65.203		420670.387		0		UNKNOWN		8		32768		CLASSIC		OMNI PEAK		140		100		100		-2		10		14.729		1.161		-47.101		Yes		8/19/25 13:15		RTK		26		0.99		0.58		0.81		8505		-1339		Yes		RTK		3D		1.6		1371		0.512		0.433		0.394		1.341				WME		Water Meter

		UP2565		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2565		8/19/25 13:16		3725'6.8920"N		797'37.2080"W		57.544		420727.931		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		2		13		11.433		2.742		-21.735		Yes		8/19/25 13:16		FLOAT RTK		27		1		0.57		0.82		8434		-1339		Yes		FLOAT RTK		3D		0.6		1371		27.608		23.927		4.331		73.068				WME		Water Meter

		UP2566		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2566		8/19/25 13:18		3725'12.8724"N		797'44.0627"W		820.452		421548.384		0		UNKNOWN		13		32768		CLASSIC		OMNI PEAK		140		100		100		-7		5		13.834		5.667		-51.876		Yes		8/19/25 13:18		RTK		26		1.04		0.6		0.84		8623		-1339		Yes		RTK		3D		0.8		1371		0.85		0.85		0.472		2.405				WME		Water Meter

		UP2567		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2567		8/19/25 13:19		3725'10.0341"N		797'45.1644"W		301.324		421849.708		0		UNKNOWN		21		32768		CLASSIC		OMNI PEAK		140		100		100		-1		10		35.307		2.653		-84.136		Yes		8/19/25 13:19		RTK		27		1.14		0.62		0.96		8881		-1339		Yes		RTK		3D		0.6		1371		0.591		0.512		0.551		1.563				WME		Water Meter

		UP2568		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2568		8/19/25 13:20		3725'9.1307"N		797'44.7868"W		96.561		421946.269		0		UNKNOWN		9		32768		CLASSIC		OMNI PEAK		140		100		100		62		11		7.264		1.885		-57.456		Yes		8/19/25 13:20		RTK		28		0.99		0.56		0.81		8981		-1339		Yes		RTK		3D		3.6		1371		3.402		1.388		0.748		7.348				WME		Water Meter

		UP2569		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2569		8/19/25 13:20		3725'9.1013"N		797'45.3088"W		42.16		421988.429		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		17.634		100		-1		13		14.618		1.709		-8.723		Yes		8/19/25 13:20		RTK		28		0.99		0.56		0.81		9012		-1339		Yes		RTK		3D		0.6		1371		0.472		0.394		0.394		1.23				WME		Water Meter

		UP2570		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2570		8/19/25 13:20		3725'8.7645"N		797'45.1306"W		37.058		422025.487		0		UNKNOWN		43		32768		CLASSIC		OMNI PEAK		140		77.46		100		0		12		9.635		0.509		-56.064		Yes		8/19/25 13:20		RTK		28		0.99		0.56		0.82		9020		-1339		Yes		RTK		3D		0.6		1371		2.058		1.388		0.984		4.965				WME		Water Meter

		UP2571		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2571		8/19/25 13:21		3725'8.4742"N		797'45.4068"W		36.913		422062.4		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		1.6		100		0		12		14.092		-1.535		-65.947		Yes		8/19/25 13:21		RTK		28		0.99		0.56		0.82		9056		-1339		Yes		RTK		3D		1.2		1371		0.433		0.394		0.394		1.171				WME		Water Meter

		UP2572		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2572		8/19/25 13:21		3725'8.5051"N		797'45.7758"W		29.902		422092.302		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		38.358		100		13		11		13.844		0.89		-6.361		Yes		8/19/25 13:21		RTK		28		0.99		0.56		0.82		9093		-1339		Yes		RTK		3D		0.8		1371		1.157		0.85		0.591		2.873				WME		Water Meter

		UP2573		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2573		8/19/25 13:21		3725'7.9574"N		797'45.8904"W		56.324		422148.626		0		UNKNOWN		14		32768		CLASSIC		OMNI PEAK		140		100		100		7		8		18.958		-4.259		62.837		Yes		8/19/25 13:21		RTK		30		0.99		0.56		0.82		9114		-1339		Yes		RTK		3D		1.6		1371		0.512		0.433		0.394		1.341				WME		Water Meter

		UP2574		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2574		8/19/25 13:23		3725'7.3872"N		797'47.5156"W		143.153		422291.779		0		UNKNOWN		15		32768		CLASSIC		OMNI PEAK		140		100		100		0		8		12.534		2.256		14.457		Yes		8/19/25 13:23		RTK		28		1.02		0.58		0.84		9174		-1339		Yes		RTK		3D		1.6		1371		0.551		0.512		0.433		1.504				WME		Water Meter

		UP2575		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2575		8/19/25 13:23		3725'7.2574"N		797'47.9979"W		41.037		422332.816		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		140		100		100		-1		11		8.605		-1.125		-11.823		Yes		8/19/25 13:24		RTK		30		0.99		0.56		0.82		9194		-1338		Yes		RTK		3D		1		1371		1.64		1.157		0.709		4.015				WME		Water Meter

		UP2576		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2576		8/19/25 13:24		3725'7.2808"N		797'48.0176"W		2.858		422335.675		0		UNKNOWN		10		32768		CLASSIC		OMNI PEAK		140		100		100		1		7		10.602		5.044		-32.435		Yes		8/19/25 13:24		RTK		30		0.99		0.56		0.82		9190		-1338		Yes		RTK		3D		1.2		1371		0.672		0.551		0.472		1.738				WME		Water Meter

		UP2577		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2577		8/19/25 13:24		3725'7.8422"N		797'48.3846"W		64.177		422399.851		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		37.64		100		0		13		9.208		-3.868		-70.22		Yes		8/19/25 13:24		RTK		31		1.02		0.58		0.84		9211		-1338		Yes		RTK		3D		1.4		1371		1.05		0.948		0.591		2.828				WME		Water Meter

		UP2578		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2578		8/19/25 13:24		3725'7.7495"N		797'48.9389"W		45.635		422445.487		0		UNKNOWN		9		32768		CLASSIC		OMNI PEAK		140		100		100		-2		9		14.175		4.819		57.002		Yes		8/19/25 13:24		RTK		29		1.02		0.58		0.84		9200		-1338		Yes		RTK		3D		1.4		1371		1.512		0.85		0.591		3.469				WME		Water Meter

		UP2579		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2579		8/19/25 13:25		3725'8.2256"N		797'49.0541"W		49.187		422494.674		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		7.072		100		-1		11		16.549		-8.14		67.358		Yes		8/19/25 13:25		RTK		29		1.02		0.58		0.84		9185		-1338		Yes		RTK		3D		1.2		1371		0.433		0.37		0.394		1.139				WME		Water Meter

		UP2580		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2580		8/19/25 13:25		3725'8.1927"N		797'49.7334"W		54.831		422549.505		0		UNKNOWN		315		32768		CLASSIC		OMNI PEAK		140		39.168		100		3		10		10.405		1.501		-0.982		Yes		8/19/25 13:25		RTK		29		1.08		0.63		0.88		9152		-1338		Yes		RTK		3D		1.2		1371		0.85		0.85		0.551		2.405				WME		Water Meter

		UP2581		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2581		8/19/25 13:25		3725'8.5960"N		797'49.9119"W		43.375		422592.88		0		UNKNOWN		30		32768		CLASSIC		OMNI PEAK		140		46.093		100		-4		6		26.753		0.093		-19.964		Yes		8/19/25 13:25		RTK		29		1.02		0.58		0.84		9125		-1338		Yes		RTK		3D		1.4		1371		1.512		1.388		0.669		4.105				WME		Water Meter

		UP2582		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2582		8/19/25 13:30		3725'32.1106"N		797'47.4110"W		2394.053		424986.933		0		UNKNOWN		89		32768		CLASSIC		OMNI PEAK		140		44.79		100		-1		10		14.571		-1.861		31.597		Yes		8/19/25 13:30		RTK		32		1.02		0.58		0.84		9281		-1339		Yes		RTK		3D		1.6		1371		0.672		0.512		0.472		1.689				WME		Water Meter

		UP2583		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2583		8/19/25 13:30		3725'32.1175"N		797'47.4395"W		2.401		424989.334		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		5.864		100		-1		9		15.236		-2.085		45.251		Yes		8/19/25 13:30		RTK		32		1.02		0.58		0.84		9283		-1339		Yes		RTK		3D		1.8		1371		0.672		0.551		0.512		1.738				WME		Water Meter

		UP2584		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2584		8/19/25 13:30		3725'32.1661"N		797'47.5678"W		11.453		425000.787		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		25.49		100		4		6		10.877		3.415		24.806		Yes		8/19/25 13:30		RTK		32		1.02		0.58		0.84		9280		-1339		Yes		RTK		3D		2.8		1371		0.759		0.551		0.512		1.875				WME		Water Meter

		UP2585		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2585		8/19/25 13:30		3725'32.1733"N		797'47.5862"W		1.657		425002.444		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		35.472		100		-1		14		10.627		1.658		-22.391		Yes		8/19/25 13:30		RTK		32		1.02		0.58		0.84		9280		-1339		Yes		RTK		3D		1.4		1371		0.512		0.433		0.394		1.341				WME		Water Meter

		UP2586		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2586		8/19/25 13:30		3725'32.1928"N		797'47.6078"W		2.626		425005.07		0		UNKNOWN		7		32768		CLASSIC		OMNI PEAK		140		100		100		-9		11		11.93		-2.376		46.157		Yes		8/19/25 13:30		RTK		32		1.02		0.58		0.84		9279		-1339		Yes		RTK		3D		4.4		1371		0.591		0.433		0.394		1.465				WME		Water Meter

		UP2587		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2587		8/19/25 13:30		3725'31.8644"N		797'46.6841"W		81.531		425086.601		0		UNKNOWN		15		32768		CLASSIC		OMNI PEAK		140		80.684		100		-4		7		9.114		0.114		79.096		Yes		8/19/25 13:30		RTK		30		1.02		0.58		0.84		9265		-1339		Yes		RTK		3D		1.4		1371		3.034		2.362		1.102		7.69				WME		Water Meter

		UP2588		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2588		8/19/25 13:33		3725'34.3072"N		797'44.2004"W		318.527		425405.128		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		5		10		12.339		0.571		-19.609		Yes		8/19/25 13:33		RTK		31		1.02		0.57		0.84		9514		-1339		Yes		RTK		3D		1.2		1371		1.05		0.948		0.63		2.828				WME		Water Meter

		UP2589		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2589		8/19/25 13:35		3725'36.5615"N		797'38.4613"W		515.833		425920.961		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		31.132		100		-1		11		10.802		-0.361		25.302		Yes		8/19/25 13:35		RTK		32		1.02		0.57		0.84		9445		-1339		Yes		RTK		3D		1		1371		2.522		1.774		0.866		6.168				WME		Water Meter

		UP2590		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2590		8/19/25 13:38		3725'45.1455"N		797'34.7469"W		920.826		426841.787		0		UNKNOWN		99		32768		CLASSIC		OMNI PEAK		140		100		100		-2		12		9.824		1.753		78.971		Yes		8/19/25 13:38		RTK		31		1.16		0.64		0.97		9427		-1339		Yes		RTK		3D		1.2		1371		0.85		0.512		0.512		1.985				WME		Water Meter

		UP2591		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2591		8/19/25 13:38		3725'44.8435"N		797'35.2439"W		50.417		426892.204		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		0		12		15.459		-2.198		25.746		Yes		8/19/25 13:38		RTK		31		1.25		0.66		1.06		9417		-1339		Yes		RTK		3D		0.8		1371		1.774		1.27		0.748		4.364				WME		Water Meter

		UP2592		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2592		8/19/25 13:39		3725'45.6042"N		797'35.9037"W		93.704		426985.908		0		UNKNOWN		197		32768		CLASSIC		OMNI PEAK		140		62.931		100		20		9		6.523		0.511		34.035		Yes		8/19/25 13:39		RTK		31		1.2		0.67		1		9332		-1339		Yes		RTK		3D		0.8		1371		3.79		2.858		1.142		9.494				WME		Water Meter

		UP2593		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2593		8/19/25 13:39		3725'45.2204"N		797'36.3157"W		51.16		427037.069		0		UNKNOWN		112		32768		CLASSIC		OMNI PEAK		140		73.467		100		-1		12		17.45		1.364		-67.053		Yes		8/19/25 13:39		RTK		31		1.16		0.64		0.97		9339		-1339		Yes		RTK		3D		2		1371		0.948		0.85		0.591		2.546				WME		Water Meter

		UP2594		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2594		8/19/25 13:39		3725'45.2126"N		797'36.3011"W		1.413		427038.481		0		UNKNOWN		8		32768		CLASSIC		OMNI PEAK		140		100		100		5		10		10.43		2.272		-74.03		Yes		8/19/25 13:39		RTK		31		1.16		0.64		0.97		9338		-1339		Yes		RTK		3D		1.4		1371		1.157		1.05		0.669		3.125				WME		Water Meter

		UP2595		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2595		8/19/25 13:39		3725'45.8594"N		797'36.6201"W		70.461		427108.942		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		3		12		11.455		4.567		-11.518		Yes		8/19/25 13:39		RTK		31		1.09		0.6		0.91		9253		-1339		Yes		RTK		3D		1.4		1371		1.774		1.27		0.787		4.364				WME		Water Meter

		UP2596		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2596		8/19/25 13:40		3725'46.2250"N		797'37.8523"W		105.977		427214.918		0		UNKNOWN		21		32768		CLASSIC		OMNI PEAK		140		100		100		0		13		10.25		-3.012		-74.743		Yes		8/19/25 13:40		RTK		32		1.06		0.58		0.89		9119		-1339		Yes		RTK		3D		1		1371		0.948		0.759		0.63		2.427				WME		Water Meter

		UP2597		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2597		8/19/25 13:44		3725'42.4430"N		797'38.5622"W		387.926		427602.844		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		-4		8		16.564		-0.966		52.358		Yes		8/19/25 13:44		RTK		30		1.16		0.64		0.97		9346		-1339		Yes		RTK		3D		1.2		1371		0.85		0.759		0.551		2.279				WME		Water Meter

		UP2598		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2598		8/19/25 13:45		3725'43.4324"N		797'40.0991"W		159.395		427762.24		0		UNKNOWN		28		32768		CLASSIC		OMNI PEAK		140		71.133		100		1		10		8.277		1.259		3.531		Yes		8/19/25 13:45		RTK		32		1.16		0.64		0.97		9311		-1339		Yes		RTK		3D		1.6		1371		2.362		1.27		0.866		5.364				WME		Water Meter

		UP2599		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2599		8/19/25 13:45		3725'43.4429"N		797'40.1093"W		1.344		427763.584		0		UNKNOWN		18		32768		CLASSIC		OMNI PEAK		140		100		100		-1		11		11.976		-6.814		38.471		Yes		8/19/25 13:45		RTK		32		1.16		0.64		0.97		9310		-1339		Yes		RTK		3D		2.4		1371		1.913		0.948		0.748		4.27				WME		Water Meter

		UP2600		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2600		8/19/25 13:46		3725'43.3502"N		797'41.0190"W		73.891		427837.475		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		140		100		100		5		9		11.869		-2.38		-62.752		Yes		8/19/25 13:46		RTK		32		1.16		0.64		0.97		9261		-1339		Yes		RTK		3D		2		1371		1.05		0.759		0.591		2.59				WME		Water Meter

		UP2601		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2601		8/19/25 13:46		3725'44.2446"N		797'41.5977"W		102.005		427939.48		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		3		13		7.499		4.593		-42.01		Yes		8/19/25 13:46		RTK		32		1.12		0.61		0.94		9270		-1339		Yes		RTK		3D		1.6		1371		2.522		1.27		0.945		5.648				WME		Water Meter

		UP2602		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2602		8/19/25 13:48		3725'44.7747"N		797'42.6964"W		103.578		428043.058		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		38.846		100		12		10		14.253		-1.762		-78.297		Yes		8/19/25 13:48		FLOAT RTK		32		1.11		0.62		0.92		9195		-1339		Yes		FLOAT RTK		3D		1.6		1371		22.087		15.277		2.992		53.71				WME		Water Meter

		UP2603		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2603		8/19/25 13:48		3725'44.6966"N		797'44.0213"W		107.034		428150.092		0		UNKNOWN		39		32768		CLASSIC		OMNI PEAK		140		69.998		100		2		13		12.388		5.456		-0.459		Yes		8/19/25 13:49		RTK		30		1.11		0.62		0.92		9139		-1339		Yes		RTK		3D		1.4		1371		0.37		0.331		0.394		0.993				WME		Water Meter

		UP2604		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2604		8/19/25 13:49		3725'45.0942"N		797'43.6702"W		49.275		428199.367		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		61.836		100		0		8		9.871		-2.666		34.405		Yes		8/19/25 13:49		RTK		31		1.19		0.64		1		9099		-1339		Yes		RTK		3D		1.2		1371		0.672		0.512		0.472		1.689				WME		Water Meter

		UP2605		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2605		8/19/25 13:49		3725'44.8317"N		797'44.4383"W		67.366		428266.732		0		UNKNOWN		145		32768		CLASSIC		OMNI PEAK		140		48.273		100		17		10		18.193		-2.497		-23.925		Yes		8/19/25 13:49		RTK		31		1.11		0.62		0.92		9114		-1339		Yes		RTK		3D		1		1371		1.27		0.672		0.551		2.874				WME		Water Meter

		UP2606		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2606		8/19/25 13:49		3725'44.9441"N		797'44.6280"W		19.064		428285.796		0		UNKNOWN		22		32768		CLASSIC		OMNI PEAK		140		100		100		0		10		15.189		-0.713		-33.687		Yes		8/19/25 13:49		RTK		31		1.11		0.62		0.92		9099		-1339		Yes		RTK		3D		1.2		1371		0.759		0.512		0.512		1.83				WME		Water Meter

		UP2607		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2607		8/19/25 13:51		3725'45.1465"N		797'46.8962"W		183.883		428469.679		0		UNKNOWN		5		32768		CLASSIC		OMNI PEAK		140		100		100		4		11		2.817		5.155		-15.409		Yes		8/19/25 13:51		RTK		30		1.15		0.64		0.95		8929		-1339		Yes		RTK		3D		2.4		1371		1.913		1.05		0.709		4.365				WME		Water Meter

		UP2608		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2608		8/19/25 13:52		3725'45.0235"N		797'47.7268"W		68.072		428537.751		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		0		13		13.447		-0.361		71.815		Yes		8/19/25 13:52		RTK		29		1.23		0.71		1.01		8856		-1339		Yes		RTK		3D		1.2		1371		1.913		1.27		0.945		4.593				WME		Water Meter

		UP2609		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2609		8/19/25 13:53		3725'44.7451"N		797'49.4224"W		139.484		428677.236		0		UNKNOWN		49		32768		CLASSIC		OMNI PEAK		140		100		100		10		4		17.396		-2.351		-59.631		Yes		8/19/25 13:53		RTK		30		1.15		0.64		0.95		8761		-1339		Yes		RTK		3D		1.6		1371		0.512		0.433		0.433		1.341				WME		Water Meter

		UP2610		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2610		8/19/25 13:53		3725'44.5817"N		797'50.1328"W		59.589		428736.825		0		UNKNOWN		35		32768		CLASSIC		OMNI PEAK		140		100		100		2		12		12.213		1.714		89.978		Yes		8/19/25 13:53		RTK		30		1.15		0.64		0.95		8721		-1338		Yes		RTK		3D		1.6		1371		0.551		0.512		0.433		1.504				WME		Water Meter

		UP2611		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2611		8/19/25 13:54		3725'44.3884"N		797'51.4319"W		106.482		428843.307		0		UNKNOWN		26		32768		CLASSIC		OMNI PEAK		140		100		100		-8		9		7.522		-2.777		-1.867		Yes		8/19/25 13:54		RTK		30		1.15		0.64		0.95		8625		-1338		Yes		RTK		3D		1		1371		0.672		0.551		0.472		1.738				WME		Water Meter

		UP2612		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2612		8/19/25 13:54		3725'44.3970"N		797'51.4483"W		1.574		428844.88		0		UNKNOWN		34		32768		CLASSIC		OMNI PEAK		140		100		100		7		4		10.514		0.189		-5.382		Yes		8/19/25 13:54		RTK		30		1.15		0.64		0.95		8625		-1338		Yes		RTK		3D		1.8		1371		1.05		0.85		0.591		2.702				WME		Water Meter

		UP2613		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2613		8/19/25 13:54		3725'44.3937"N		797'51.4634"W		1.265		428846.146		0		UNKNOWN		48		32768		CLASSIC		OMNI PEAK		140		100		100		3		6		7.861		3.552		-39.969		Yes		8/19/25 13:54		RTK		30		1.15		0.64		0.95		8623		-1338		Yes		RTK		3D		4.6		1371		1.774		0.672		0.591		3.794				WME		Water Meter

		UP2614		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2614		8/19/25 13:54		3725'44.3977"N		797'51.4860"W		1.869		428848.015		0.002		UNKNOWN		3268		32768		CLASSIC		OMNI PEAK		140		100		100		23		9		7.328		-0.416		-45.669		Yes		8/19/25 13:54		RTK		30		1.15		0.64		0.95		8624		-1338		Yes		RTK		3D		2.6		1371		1.05		0.591		0.551		2.409				WME		Water Meter

		UP2615		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2615		8/19/25 13:55		3725'44.5205"N		797'52.9289"W		116.908		428964.922		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		20		4		9.755		-0.2		-44.906		Yes		8/19/25 13:55		RTK		30		1.15		0.64		0.95		8579		-1338		Yes		RTK		3D		1.6		1371		1.27		0.672		0.63		2.874				WME		Water Meter

		UP2616		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2616		8/19/25 13:55		3725'44.5157"N		797'52.9528"W		1.983		428966.905		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		23.947		100		24		8		8.535		0.255		-55.428		Yes		8/19/25 13:55		RTK		30		1.15		0.64		0.95		8578		-1338		Yes		RTK		3D		1.8		1371		1.27		1.05		0.709		3.296				WME		Water Meter

		UP2617		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2617		8/19/25 13:59		3725'33.2754"N		797'52.3195"W		1141.476		430108.382		0		UNKNOWN		47		32768		CLASSIC		OMNI PEAK		140		100		100		3		9		14.555		6.335		-16.393		Yes		8/19/25 13:59		RTK		32		1.05		0.57		0.88		9423		-1338		Yes		RTK		3D		1.2		1371		1.388		1.05		0.669		3.481				WME		Water Meter

		UP2618		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2618		8/19/25 14:00		3725'34.0567"N		797'55.2188"W		246.667		430355.049		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		12.673		100		0		12		5.92		-1.077		56.062		Yes		8/19/25 14:00		RTK		31		1.09		0.59		0.92		9269		-1338		Yes		RTK		3D		0.8		1371		0.948		0.551		0.591		2.192				WME		Water Meter

		UP2619		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2619		8/19/25 14:01		3725'33.5940"N		797'56.1953"W		91.616		430446.664		0		UNKNOWN		13		32768		CLASSIC		OMNI PEAK		140		100		100		-4		11		19.519		-1.876		-88.209		Yes		8/19/25 14:01		RTK		31		1.2		0.61		1.03		9290		-1338		Yes		RTK		3D		1.4		1371		1.774		0.948		0.787		4.023				WME		Water Meter

		UP2620		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2620		8/19/25 14:02		3725'32.4839"N		797'58.5844"W		223.004		430669.668		0		UNKNOWN		7		32768		CLASSIC		OMNI PEAK		140		82.918		100		0		11		12.396		0.182		-85.932		Yes		8/19/25 14:02		RTK		31		1.09		0.59		0.92		9453		-1338		Yes		RTK		3D		1.4		1371		1.388		1.05		0.866		3.481				WME		Water Meter

		UP2621		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2621		8/19/25 14:03		3725'32.5706"N		798'1.8916"W		266.595		430936.263		0		UNKNOWN		23		32768		CLASSIC		OMNI PEAK		140		100		100		-3		10		8.749		2.843		28.821		Yes		8/19/25 14:03		RTK		32		1.03		0.55		0.88		9457		-1338		Yes		RTK		3D		1.2		1371		1.388		1.05		0.748		3.481				WME		Water Meter

		UP2622		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2622		8/19/25 14:04		3725'33.6054"N		798'4.5517"W		238.645		431174.908		0		UNKNOWN		11		32768		CLASSIC		OMNI PEAK		140		100		100		6		7		12.948		5.317		35.42		Yes		8/19/25 14:04		RTK		32		1.03		0.55		0.88		9433		-1338		Yes		RTK		3D		1.2		1371		0.85		0.551		0.512		2.027				WME		Water Meter

		UP2623		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2623		8/19/25 14:05		3725'34.1862"N		798'5.4978"W		96.343		431271.251		0		UNKNOWN		41		32768		CLASSIC		OMNI PEAK		140		100		100		0		4		10.094		3.36		49.567		Yes		8/19/25 14:05		RTK		32		1.08		0.58		0.92		9427		-1338		Yes		RTK		3D		0.6		1371		1.157		0.672		0.63		2.677				WME		Water Meter

		UP2624		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2624		8/19/25 14:06		3725'35.3084"N		798'6.9361"W		162.447		431433.698		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		19.886		100		4		11		10.964		3.028		-11.889		Yes		8/19/25 14:06		RTK		32		1.08		0.58		0.92		9385		-1338		Yes		RTK		3D		1.6		1371		3.034		2.058		1.181		7.332				WME		Water Meter

		UP2625		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2625		8/19/25 14:07		3725'36.0046"N		798'7.8596"W		102.585		431536.283		0		UNKNOWN		42		32768		CLASSIC		OMNI PEAK		140		44.418		100		0		9		19.458		-4.722		0.247		Yes		8/19/25 14:07		FLOAT RTK		32		1.17		0.59		1.01		9340		-1338		Yes		FLOAT RTK		3D		1.4		1371		3.129		2.577		0.591		8.107				WME		Water Meter

		UP2626		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2626		8/19/25 14:07		3725'36.0493"N		798'7.9208"W		6.699		431542.982		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		84.204		100		2		8		11.5		3.414		-55.435		Yes		8/19/25 14:07		RTK		32		1.09		0.58		0.92		9341		-1338		Yes		RTK		3D		2.4		1371		0.672		0.551		0.551		1.738				WME		Water Meter

		UP2627		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2627		8/19/25 14:08		3725'36.9593"N		798'9.2720"W		142.736		431685.717		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		140		100		100		3		8		11.105		-0.503		12.782		Yes		8/19/25 14:08		RTK		32		1.17		0.59		1.01		9360		-1338		Yes		RTK		3D		2.2		1371		0.551		0.394		0.433		1.355				WME		Water Meter

		UP2628		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2628		8/19/25 14:09		3725'37.6027"N		798'10.3040"W		105.698		431791.415		0		UNKNOWN		87		32768		CLASSIC		OMNI PEAK		140		69.051		100		-1		12		4.778		0.697		-13.784		Yes		8/19/25 14:09		RTK		31		1.17		0.59		1.01		9356		-1338		Yes		RTK		3D		1.2		1371		0.85		0.591		0.591		2.071				WME		Water Meter

		UP2629		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2629		8/19/25 14:10		3725'39.3590"N		798'11.1911"W		191.984		431983.399		0		UNKNOWN		10		32768		CLASSIC		OMNI PEAK		140		100		100		4		12		11.09		0.083		9.008		Yes		8/19/25 14:10		RTK		31		1.17		0.59		1.01		9228		-1338		Yes		RTK		3D		1		1371		1.913		1.774		0.945		5.219				WME		Water Meter

		UP2630		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2630		8/19/25 14:11		3725'40.4456"N		798'11.3859"W		111.348		432094.748		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		39.829		100		-13		8		5.374		-1.767		-29.991		Yes		8/19/25 14:11		RTK		31		1.11		0.57		0.96		9119		-1338		Yes		RTK		3D		1.2		1371		0.948		0.512		0.551		2.154				WME		Water Meter

		UP2631		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2631		8/19/25 14:11		3725'40.6108"N		798'11.4791"W		18.364		432113.111		0		UNKNOWN		39		32768		CLASSIC		OMNI PEAK		140		41.244		100		0		12		9.744		-1.456		-3.696		Yes		8/19/25 14:11		RTK		31		1.11		0.57		0.96		9100		-1338		Yes		RTK		3D		0.8		1371		1.512		0.672		0.63		3.309				WME		Water Meter

		UP2632		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2632		8/19/25 14:12		3725'41.5463"N		798'12.2469"W		113.285		432226.396		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		5		10		2.568		0.385		74.634		Yes		8/19/25 14:12		RTK		28		1.17		0.59		1.01		9003		-1338		Yes		RTK		3D		1.6		1371		2.207		0.85		0.787		4.731				WME		Water Meter

		UP2633		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2633		8/19/25 14:12		3725'42.1345"N		798'13.0863"W		90.185		432316.581		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		50.894		100		0		13		8.311		2.164		5.012		Yes		8/19/25 14:12		FLOAT RTK		30		1.17		0.59		1.01		8907		-1338		Yes		FLOAT RTK		3D		0.8		1371		5.522		3.129		0.709		12.693				WME		Water Meter

		UP2634		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2634		8/19/25 14:15		3725'42.6846"N		798'14.1903"W		105.004		432421.585		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		87.47		100		6		11		10.203		1.483		-39.454		Yes		8/19/25 14:16		RTK		29		1.17		0.59		1.01		8791		-1338		Yes		RTK		3D		1.8		1371		1.157		0.672		0.709		2.677				WME		Water Meter

		UP2635		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2635		8/19/25 14:16		3725'43.1250"N		798'15.0833"W		84.68		432506.265		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		35.257		100		0		10		10.564		-2.9		-45.832		Yes		8/19/25 14:17		RTK		31		1.17		0.59		1.01		8689		-1338		Yes		RTK		3D		2		1371		1.913		1.157		0.906		4.472				WME		Water Meter

		UP2636		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2636		8/19/25 14:17		3725'43.4804"N		798'16.4426"W		115.294		432621.559		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		44.378		100		6		7		10.159		1.122		-40.713		Yes		8/19/25 14:17		RTK		31		1.17		0.59		1.01		8559		-1338		Yes		RTK		3D		0.8		1371		1.27		0.551		0.669		2.77				WME		Water Meter

		UP2637		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2637		8/19/25 14:18		3725'43.7778"N		798'17.3953"W		82.473		432704.032		0		UNKNOWN		5		32768		CLASSIC		OMNI PEAK		140		100		100		4		10		8.15		-0.276		22.079		Yes		8/19/25 14:18		FLOAT RTK		30		1.17		0.59		1.01		8475		-1338		Yes		FLOAT RTK		3D		1.6		1371		11.411		8.651		2.047		28.639				WME		Water Meter

		UP2638		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2638		8/19/25 14:19		3725'44.1176"N		798'18.5200"W		96.944		432800.976		0		UNKNOWN		18		32768		CLASSIC		OMNI PEAK		140		100		100		6		8		13.256		-2.835		-24.629		Yes		8/19/25 14:19		RTK		30		1.17		0.59		1.01		8392		-1338		Yes		RTK		3D		1.6		1371		2.522		1.157		1.181		5.55				WME		Water Meter

		UP2639		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2639		8/19/25 14:20		3725'44.3347"N		798'19.7392"W		100.661		432901.637		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		52.401		100		-295		10		9.388		3.817		-58.749		Yes		8/19/25 14:20		RTK		30		1.07		0.56		0.91		8350		-1338		Yes		RTK		3D		1.2		1371		1.157		0.551		0.748		2.564				WME		Water Meter

		UP2640		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2640		8/19/25 14:22		3725'43.1794"N		798'17.3602"W		224.659		433126.296		0		UNKNOWN		152		32768		CLASSIC		OMNI PEAK		140		50.038		100		-3		10		7.203		-0.394		53.727		Yes		8/19/25 14:22		RTK		31		1.07		0.56		0.91		8518		-1338		Yes		RTK		3D		0.6		1371		3.215		1.913		1.063		7.483				WME		Water Meter

		UP2641		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2641		8/19/25 14:22		3725'42.7758"N		798'16.2310"W		99.762		433226.058		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		17.599		100		3		10		10.695		-1.216		-0.803		Yes		8/19/25 14:22		RTK		32		1.19		0.62		1.02		8646		-1338		Yes		RTK		3D		1.6		1371		1.157		0.551		0.512		2.564				WME		Water Meter

		UP2642		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2642		8/19/25 14:24		3725'41.9112"N		798'13.9738"W		201.887		433427.945		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		3.275		100		1		12		17.008		-5.386		-61.254		Yes		8/19/25 14:24		RTK		30		1.19		0.62		1.02		8888		-1338		Yes		RTK		3D		1.2		1371		2.858		1.05		0.63		6.09				WME		Water Meter

		UP2643		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2643		8/19/25 14:25		3725'40.5591"N		798'12.1647"W		200.149		433628.094		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		36.62		100		7		8		11.445		-1.036		-47.427		Yes		8/19/25 14:25		RTK		30		1.19		0.61		1.02		9113		-1338		Yes		RTK		3D		1.4		1371		1.512		0.759		0.748		3.383				WME		Water Meter

		UP2644		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2644		8/19/25 14:27		3725'38.1065"N		798'15.0871"W		342.549		433970.643		0		UNKNOWN		15		32768		CLASSIC		OMNI PEAK		140		100		100		-1		12		10.253		7.55		-57.336		Yes		8/19/25 14:27		RTK		31		1.19		0.61		1.02		9207		-1338		Yes		RTK		3D		0.8		1371		1.157		0.759		0.748		2.768				WME		Water Meter

		UP2645		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2645		8/19/25 14:28		3725'37.8438"N		798'16.3509"W		105.248		434075.891		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		15.057		100		2		11		11.834		3.352		22.195		Yes		8/19/25 14:28		RTK		30		1.22		0.62		1.04		9136		-1338		Yes		RTK		3D		1.2		1371		0.672		0.472		0.512		1.643				WME		Water Meter

		UP2646		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2646		8/19/25 14:29		3725'37.6719"N		798'17.6290"W		104.437		434180.327		0		UNKNOWN		62		32768		CLASSIC		OMNI PEAK		140		43.232		100		-7		9		12.447		-0.486		-17.678		Yes		8/19/25 14:29		RTK		30		1.2		0.59		1.05		9056		-1338		Yes		RTK		3D		1.4		1371		0.948		0.591		0.669		2.233				WME		Water Meter

		UP2647		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2647		8/19/25 14:29		3725'37.6670"N		798'18.9284"W		104.684		434285.012		0		UNKNOWN		18		32768		CLASSIC		OMNI PEAK		140		100		100		-34		10		9.324		1.8		85.327		Yes		8/19/25 14:29		RTK		30		1.11		0.56		0.96		8963		-1338		Yes		RTK		3D		1.2		1371		0.672		0.512		0.591		1.689				WME		Water Meter

		UP2648		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2648		8/19/25 14:30		3725'37.1248"N		798'20.1342"W		111.639		434396.651		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		7		12		7.156		1.733		-87.839		Yes		8/19/25 14:30		RTK		31		1.11		0.56		0.96		8913		-1338		Yes		RTK		3D		0.6		1371		0.85		0.512		0.551		1.985				WME		Water Meter

		UP2649		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2649		8/19/25 14:31		3725'37.1061"N		798'18.6564"W		119.079		434515.73		0		UNKNOWN		68		32768		CLASSIC		OMNI PEAK		140		80.112		100		1		6		18.762		-2.768		-9.668		Yes		8/19/25 14:31		RTK		31		1.19		0.61		1.02		8993		-1338		Yes		RTK		3D		2.2		1371		1.05		0.472		0.591		2.303				WME		Water Meter

		UP2650		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2650		8/19/25 14:31		3725'37.1893"N		798'17.4460"W		97.879		434613.609		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.803		100		-1		10		8.877		-1.2		27.576		Yes		8/19/25 14:31		RTK		30		1.12		0.56		0.97		9075		-1338		Yes		RTK		3D		1.4		1371		0.85		0.551		0.591		2.027				WME		Water Meter

		UP2651		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2651		8/19/25 14:33		3725'37.5251"N		798'15.4112"W		167.434		434781.043		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		100		100		0		9		8.22		4.718		-13.852		Yes		8/19/25 14:33		RTK		30		1.12		0.56		0.97		9195		-1338		Yes		RTK		3D		1.4		1371		0.591		0.472		0.551		1.513				WME		Water Meter

		UP2652		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2652		8/19/25 14:33		3725'37.8076"N		798'14.1121"W		108.516		434889.559		0		UNKNOWN		5		32768		CLASSIC		OMNI PEAK		140		100		100		0		8		8.051		-0.22		24.494		Yes		8/19/25 14:33		RTK		32		1.12		0.56		0.97		9272		-1338		Yes		RTK		3D		1.8		1371		0.85		0.672		0.551		2.168				WME		Water Meter

		UP2653		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2653		8/19/25 14:34		3725'37.9248"N		798'12.2182"W		153.042		435042.602		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		26.632		100		0		13		4.296		2.789		76.114		Yes		8/19/25 14:35		RTK		31		1.12		0.56		0.97		9337		-1338		Yes		RTK		3D		1.2		1371		1.27		0.512		0.512		2.739				WME		Water Meter

		UP2654		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2654		8/19/25 14:35		3725'36.4584"N		798'9.6545"W		254.536		435297.138		0		UNKNOWN		126		32768		CLASSIC		OMNI PEAK		140		100		100		-1		9		8.693		1.993		84.231		Yes		8/19/25 14:35		RTK		32		1.06		0.53		0.92		9340		-1338		Yes		RTK		3D		1.2		1371		1.27		0.85		0.748		3.057				WME		Water Meter

		UP2655		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2655		8/19/25 14:36		3725'35.8370"N		798'8.4895"W		113.067		435410.205		0		UNKNOWN		153		32768		CLASSIC		OMNI PEAK		140		34.978		100		-6		10		12.067		-1.706		-13.901		Yes		8/19/25 14:36		RTK		32		1.06		0.53		0.92		9346		-1338		Yes		RTK		3D		1.4		1371		0.948		0.512		0.63		2.154				WME		Water Meter

		UP2656		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2656		8/19/25 14:37		3725'35.1592"N		798'7.5532"W		102.072		435512.277		0		UNKNOWN		31		32768		CLASSIC		OMNI PEAK		140		71.497		100		0		10		12.451		-3.3		-47.662		Yes		8/19/25 14:37		RTK		32		1.12		0.55		0.97		9385		-1338		Yes		RTK		3D		1		1371		1.774		0.948		0.866		4.023				WME		Water Meter

		UP2657		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2657		8/19/25 14:38		3725'34.2077"N		798'6.3385"W		137.461		435649.738		0		UNKNOWN		18		32768		CLASSIC		OMNI PEAK		140		100		100		-1		2		11.525		3.857		-6.244		Yes		8/19/25 14:38		RTK		32		1.06		0.53		0.92		9427		-1338		Yes		RTK		3D		1		1371		0.433		0.339		0.394		1.099				WME		Water Meter

		UP2658		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2658		8/19/25 14:40		3725'30.7868"N		798'10.0340"W		457.268		436107.006		0		UNKNOWN		11		32768		CLASSIC		OMNI PEAK		140		100		100		11		3		9.916		1.939		-74.885		Yes		8/19/25 14:40		RTK		32		1.02		0.52		0.88		9250		-1338		Yes		RTK		3D		1.4		1371		0.512		0.433		0.433		1.341				WME		Water Meter

		UP2659		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2659		8/19/25 14:40		3725'30.0454"N		798'12.3041"W		197.748		436304.754		0		UNKNOWN		25		32768		CLASSIC		OMNI PEAK		140		100		100		6		11		11.786		2.819		71.036		Yes		8/19/25 14:40		RTK		31		1.07		0.53		0.92		9200		-1338		Yes		RTK		3D		0.6		1371		0.948		0.672		0.669		2.323				WME		Water Meter

		UP2660		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2660		8/19/25 14:41		3725'29.4574"N		798'13.1070"W		87.998		436392.753		0		UNKNOWN		32		32768		CLASSIC		OMNI PEAK		140		85.099		100		-390		10		11.947		0.889		-39.802		Yes		8/19/25 14:41		RTK		31		1.02		0.52		0.88		9186		-1338		Yes		RTK		3D		0.6		1371		0.551		0.472		0.551		1.452				WME		Water Meter

		UP2661		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2661		8/19/25 14:42		3725'28.4080"N		798'14.0893"W		132.654		436525.407		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		100		100		0		12		14.069		2.267		27.059		Yes		8/19/25 14:42		RTK		32		1.02		0.52		0.88		9121		-1338		Yes		RTK		3D		1.4		1371		0.551		0.433		0.433		1.402				WME		Water Meter

		UP2662		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2662		8/19/25 14:43		3725'27.3962"N		798'16.1288"W		193.745		436719.152		0		UNKNOWN		9		32768		CLASSIC		OMNI PEAK		140		100		100		59		8		11.298		1.345		30.124		Yes		8/19/25 14:43		RTK		31		1.07		0.53		0.93		9049		-1338		Yes		RTK		3D		0.8		1371		0.672		0.512		0.512		1.689				WME		Water Meter

		UP2663		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2663		8/19/25 14:44		3725'26.7534"N		798'17.0791"W		100.57		436819.721		0		UNKNOWN		20		32768		CLASSIC		OMNI PEAK		140		100		100		1		8		8.844		-0.897		-12.476		Yes		8/19/25 14:44		RTK		31		1.14		0.55		1		9036		-1338		Yes		RTK		3D		2		1371		2.058		0.948		0.866		4.531				WME		Water Meter

		UP2664		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2664		8/19/25 14:44		3725'26.6947"N		798'16.9731"W		10.41		436830.131		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		16.023		100		-19		11		9.184		1.118		11.199		Yes		8/19/25 14:44		FLOAT RTK		31		1.09		0.54		0.94		9031		-1338		Yes		FLOAT RTK		3D		1.2		1371		3.865		2.577		0.551		9.291				WME		Water Meter

		UP2665		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2665		8/19/25 14:44		3725'26.3847"N		798'16.5791"W		44.683		436874.815		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		52.817		100		7		8		10.892		-6.692		-30.63		Yes		8/19/25 14:44		RTK		32		1.08		0.53		0.93		9023		-1338		Yes		RTK		3D		0.6		1371		1.27		0.591		0.709		2.802				WME		Water Meter

		UP2666		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2666		8/19/25 14:45		3725'26.9269"N		798'15.5041"W		102.604		436977.418		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		23.335		100		-4		12		8.865		1.822		-39.499		Yes		8/19/25 14:45		RTK		32		1.12		0.55		0.97		9055		-1338		Yes		RTK		3D		1		1371		0.551		0.378		0.433		1.337				WME		Water Meter

		UP2667		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2667		8/19/25 14:46		3725'27.4158"N		798'14.5409"W		92.096		437069.514		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		1		12		12.683		3.312		-88.393		Yes		8/19/25 14:46		RTK		31		1.04		0.52		0.9		9083		-1338		Yes		RTK		3D		1.2		1371		0.591		0.472		0.512		1.513				WME		Water Meter

		UP2668		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2668		8/19/25 14:46		3725'29.2802"N		798'12.3782"W		257.168		437326.682		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		10.21		100		-11		5		15.806		3.139		10.829		Yes		8/19/25 14:46		RTK		32		1.04		0.52		0.91		9185		-1338		Yes		RTK		3D		1.4		1371		1.05		0.551		0.63		2.372				WME		Water Meter

		UP2669		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2669		8/19/25 14:47		3725'29.8664"N		798'11.4799"W		93.672		437420.354		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		50.883		100		9		9		2.598		1.805		-24.61		Yes		8/19/25 14:47		RTK		32		1.04		0.52		0.91		9202		-1338		Yes		RTK		3D		0.8		1371		0.551		0.394		0.433		1.355				WME		Water Meter

		UP2670		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2670		8/19/25 14:48		3725'30.1708"N		798'10.2509"W		103.727		437524.08		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		32.096		100		1		12		16.312		2.326		-16.435		Yes		8/19/25 14:48		RTK		32		1.04		0.52		0.9		9228		-1338		Yes		RTK		3D		1.4		1371		1.27		0.759		0.709		2.959				WME		Water Meter

		UP2671		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2671		8/19/25 14:48		3725'30.5705"N		798'8.9579"W		111.781		437635.862		0		UNKNOWN		28		32768		CLASSIC		OMNI PEAK		140		96.812		100		1		11		11.894		4.089		-38.635		Yes		8/19/25 14:49		RTK		32		0.98		0.49		0.85		9255		-1338		Yes		RTK		3D		1		1371		0.512		0.366		0.394		1.259				WME		Water Meter

		UP2672		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2672		8/19/25 14:49		3725'31.0575"N		798'8.0736"W		86.698		437722.56		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		28.663		100		-9		8		15.256		0.931		-77.625		Yes		8/19/25 14:49		RTK		32		1.04		0.53		0.9		9286		-1338		Yes		RTK		3D		0.6		1371		1.05		0.591		0.591		2.409				WME		Water Meter

		UP2673		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2673		8/19/25 14:51		3725'31.7348"N		798'7.2111"W		97.73		437820.29		0		UNKNOWN		47		32768		CLASSIC		OMNI PEAK		140		89.445		100		-1		7		11.413		-2.56		70.371		Yes		8/19/25 14:51		RTK		32		1.03		0.51		0.9		9341		-1338		Yes		RTK		3D		0.6		1371		0.759		0.512		0.591		1.83				WME		Water Meter

		UP2674		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2674		8/19/25 14:52		3725'33.1457"N		798'4.8647"W		237.11		438057.399		0		UNKNOWN		9		32768		CLASSIC		OMNI PEAK		140		100		100		0		12		10.256		4.18		46.216		Yes		8/19/25 14:52		RTK		32		1.09		0.54		0.95		9462		-1338		Yes		RTK		3D		1		1371		0.551		0.472		0.433		1.452				WME		Water Meter

		UP2675		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2675		8/19/25 14:52		3725'32.7851"N		798'3.8145"W		92.178		438149.578		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		100		100		0		10		9.567		2.962		-13.823		Yes		8/19/25 14:52		RTK		32		1.08		0.54		0.94		9459		-1338		Yes		RTK		3D		1		1371		1.157		0.759		0.63		2.768				WME		Water Meter

		UP2676		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2676		8/19/25 14:53		3725'32.3548"N		798'2.6357"W		104.521		438254.098		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		17.339		100		-1		11		11.868		1.276		-45.759		Yes		8/19/25 14:53		RTK		32		1.1		0.55		0.95		9451		-1338		Yes		RTK		3D		1		1371		1.05		0.551		0.63		2.372				WME		Water Meter

		UP2677		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2677		8/19/25 14:53		3725'31.8132"N		798'1.0911"W		136.038		438390.136		0		UNKNOWN		7		32768		CLASSIC		OMNI PEAK		140		100		100		-8		8		8.139		3.614		24.888		Yes		8/19/25 14:53		RTK		32		1.05		0.52		0.91		9451		-1338		Yes		RTK		3D		1.8		1371		0.759		0.472		0.551		1.787				WME		Water Meter

		UP2678		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2678		8/19/25 14:56		3725'31.2504"N		797'59.8951"W		111.999		438502.135		0		UNKNOWN		114		32768		CLASSIC		OMNI PEAK		140		100		100		5		9		17.076		1.447		-19.103		Yes		8/19/25 14:56		FLOAT RTK		32		1.03		0.52		0.89		9461		-1338		Yes		FLOAT RTK		3D		2.4		1371		16.197		11.964		2.52		40.272				WME		Water Meter

		UP2679		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2679		8/19/25 14:56		3725'31.2509"N		797'59.8815"W		1.1		438503.235		0		UNKNOWN		17		32768		CLASSIC		OMNI PEAK		140		100		100		3		9		8.033		4.372		-61.013		Yes		8/19/25 14:56		RTK		32		1.08		0.55		0.93		9465		-1338		Yes		RTK		3D		1.6		1371		1.64		0.591		0.827		3.487				WME		Water Meter

		UP2680		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2680		8/19/25 14:56		3725'31.7195"N		797'58.9814"W		86.71		438589.946		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		35.099		100		6		12		14.254		-3.68		46.124		Yes		8/19/25 14:56		RTK		32		1.02		0.51		0.88		9498		-1338		Yes		RTK		3D		1.6		1371		0.672		0.512		0.512		1.689				WME		Water Meter

		UP2681		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2681		8/19/25 14:56		3725'31.7274"N		797'58.9652"W		1.536		438591.482		0		UNKNOWN		30		32768		CLASSIC		OMNI PEAK		140		75.203		100		85		10		10.454		-3.354		-8.01		Yes		8/19/25 14:56		RTK		32		1		0.49		0.86		9499		-1338		Yes		RTK		3D		1		1371		0.948		0.551		0.591		2.192				WME		Water Meter

		UP2682		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2682		8/19/25 14:56		3725'31.7572"N		797'58.9274"W		4.288		438595.77		0		UNKNOWN		16		32768		CLASSIC		OMNI PEAK		140		100		100		1		11		10.573		-2.954		-75.936		Yes		8/19/25 14:56		RTK		32		1		0.49		0.86		9498		-1338		Yes		RTK		3D		1.2		1371		1.64		1.05		0.709		3.895				WME		Water Meter

		UP2683		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2683		8/19/25 14:56		3725'31.7661"N		797'58.9133"W		1.451		438597.221		0		UNKNOWN		5		32768		CLASSIC		OMNI PEAK		140		100		100		1		12		7.226		-1.59		-6.311		Yes		8/19/25 14:56		RTK		32		1.01		0.51		0.87		9497		-1338		Yes		RTK		3D		3.6		1371		1.157		0.672		0.591		2.677				WME		Water Meter

		UP2684		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2684		8/19/25 14:57		3725'32.2275"N		797'57.9680"W		89.396		438686.617		0		UNKNOWN		118		32768		CLASSIC		OMNI PEAK		140		64.053		100		0		9		12.9		-0.13		-15.895		Yes		8/19/25 14:57		RTK		32		1		0.49		0.86		9458		-1338		Yes		RTK		3D		1.6		1371		1.512		0.472		0.551		3.168				WME		Water Meter

		UP2685		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2685		8/19/25 14:57		3725'32.2361"N		797'57.9502"W		1.677		438688.294		0		UNKNOWN		19		32768		CLASSIC		OMNI PEAK		140		100		100		0		12		11.449		-2.34		5.176		Yes		8/19/25 14:57		RTK		32		1.06		0.52		0.92		9456		-1338		Yes		RTK		3D		0.6		1371		0.85		0.512		0.512		1.985				WME		Water Meter

		UP2686		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2686		8/19/25 14:57		3725'32.2489"N		797'57.8235"W		10.289		438698.582		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.821		100		-1		11		14.418		-0.969		-33.438		Yes		8/19/25 14:57		RTK		32		0.97		0.48		0.84		9458		-1338		Yes		RTK		3D		1.8		1371		1.05		0.672		0.669		2.493				WME		Water Meter

		UP2687		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2687		8/19/25 14:57		3725'32.2539"N		797'57.8073"W		1.399		438699.981		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		60.918		100		-1		12		14.701		2.862		2.583		Yes		8/19/25 14:57		RTK		32		0.97		0.48		0.85		9456		-1338		Yes		RTK		3D		1.4		1371		0.591		0.472		0.512		1.513				WME		Water Meter

		UP2688		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2688		8/19/25 14:57		3725'32.6977"N		797'56.8524"W		89.137		438789.119		0		UNKNOWN		18		32768		CLASSIC		OMNI PEAK		140		83.333		100		0		12		5.298		-4.923		17.222		Yes		8/19/25 14:57		RTK		32		0.97		0.48		0.85		9413		-1338		Yes		RTK		3D		1.4		1371		0.672		0.551		0.591		1.738				WME		Water Meter

		UP2689		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2689		8/19/25 14:57		3725'32.7051"N		797'56.8396"W		1.28		438790.398		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		37.446		100		14		10		15.93		-11.102		0.816		Yes		8/19/25 14:57		RTK		32		0.97		0.48		0.85		9413		-1338		Yes		RTK		3D		1.4		1371		0.672		0.551		0.591		1.738				WME		Water Meter

		UP2690		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2690		8/19/25 14:58		3725'32.8933"N		797'56.5080"W		32.832		438823.23		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		4.782		100		4		11		16.988		-2.358		4.253		Yes		8/19/25 14:58		RTK		32		1		0.49		0.87		9372		-1338		Yes		RTK		3D		1.4		1371		0.85		0.472		0.551		1.946				WME		Water Meter

		UP2691		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2691		8/19/25 14:58		3725'32.9093"N		797'56.4947"W		1.946		438825.176		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		35.357		100		9		8		16.894		-1.563		37.802		Yes		8/19/25 14:58		RTK		32		0.97		0.48		0.85		9370		-1338		Yes		RTK		3D		1.2		1371		0.551		0.366		0.394		1.323				WME		Water Meter

		UP2692		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		2692		8/21/25 7:27		00'0.0000"N		00'0.0000"E		0		438825.176		0		UNKNOWN		45		32768		CLASSIC		OMNI PEAK		140		10.995		100		152		7		21.324		4.614		50.952		No		8/21/25 7:27		NONE		0		99.99		99.99		99.99		0		0		Yes		DATA NOT VALID		NOT AVAILABLE		0		0		52834.646		47118.112		16496.063		141585.54				WME		Water Meter

		UP2693		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		2693		8/21/25 7:27		00'0.0000"N		00'0.0000"E		0		438825.176		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.639		100		64		7		26.111		6.219		86.076		No		8/21/25 7:27		NONE		0		99.99		99.99		99.99		0		0		Yes		DATA NOT VALID		NOT AVAILABLE		0		0		52964.569		47291.342		16535.433		142010.092				WME		Water Meter

		UP2694		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		2694		8/21/25 7:27		3725'27.3726"N		797'58.3334"W		0		438825.176		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		2.208		100		34		9		0.941		-1.743		52.007		Yes		8/21/25 7:27		GPS SPS VALID		11		1.71		0.98		1.41		9316		-1338		Yes		AUTONOMOUS		3D		0		0		151.575		129.921		102.362		399.272				WME		Water Meter

		UP2695		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2695		8/21/25 7:27		3725'27.3540"N		797'58.3366"W		1.901		438827.077		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		2.081		100		-19		9		14.033		-1.439		70.917		Yes		8/21/25 7:27		FLOAT RTK		14		2.06		1.23		1.65		9292		-1338		Yes		FLOAT RTK		3D		2.6		2735		138.041		108.593		21.26		351.271				WME		Water Meter

		UP2696		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2696		8/21/25 7:28		3725'26.9865"N		797'58.6429"W		44.718		438871.794		0		UNKNOWN		29		32768		CLASSIC		OMNI PEAK		140		62.094		100		-4		12		13.32		-5.885		-60.384		Yes		8/21/25 7:28		FLOAT RTK		19		1.41		0.81		1.16		9351		-1338		Yes		FLOAT RTK		3D		1.2		2735		34.97		25.768		6.693		86.877				WME		Water Meter

		UP2697		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2697		8/21/25 7:29		3725'26.3638"N		797'59.2747"W		81.124		438952.918		0		UNKNOWN		31		32768		CLASSIC		OMNI PEAK		140		100		100		-3		6		14.605		0.862		31.553		Yes		8/21/25 7:29		RTK		24		1.13		0.61		0.95		9354		-1338		Yes		RTK		3D		1.6		2735		0.759		0.512		0.512		1.83				WME		Water Meter

		UP2698		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2698		8/21/25 7:30		3725'25.4480"N		798'0.3681"W		128.031		439080.949		0		UNKNOWN		344		32768		CLASSIC		OMNI PEAK		140		40.311		100		1		11		11.624		-2.557		80.993		Yes		8/21/25 7:30		RTK		31		1.08		0.55		0.93		9376		-1338		Yes		RTK		3D		1.4		2735		0.433		0.362		0.394		1.129				WME		Water Meter

		UP2699		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2699		8/21/25 7:32		3725'24.8685"N		798'1.1073"W		83.688		439164.637		0		UNKNOWN		25		32768		CLASSIC		OMNI PEAK		140		100		100		-1		5		17.053		-1.512		-72.476		Yes		8/21/25 7:32		RTK		30		1.18		0.56		1.04		9359		-1338		Yes		RTK		3D		1.2		2741		0.512		0.378		0.394		1.272				WME		Water Meter

		UP2700		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2700		8/21/25 7:32		3725'24.8544"N		798'1.1257"W		2.06		439166.698		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		140		100		100		-1		8		10.707		0.996		64.754		Yes		8/21/25 7:32		RTK		30		1.18		0.56		1.04		9359		-1338		Yes		RTK		3D		1		2741		0.591		0.433		0.394		1.465				WME		Water Meter

		UP2701		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2701		8/21/25 7:33		3725'24.0441"N		798'2.0838"W		112.77		439279.467		0		UNKNOWN		35		32768		CLASSIC		OMNI PEAK		140		100		100		0		11		10.827		-2.848		-84.233		Yes		8/21/25 7:33		RTK		32		1.18		0.56		1.04		9287		-1338		Yes		RTK		3D		0.8		2741		0.551		0.433		0.433		1.402				WME		Water Meter

		UP2702		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2702		8/21/25 7:33		3725'23.5213"N		798'2.6245"W		68.629		439348.097		0		UNKNOWN		63		32768		CLASSIC		OMNI PEAK		140		84.654		100		-11		10		4.315		-3.25		-35.039		Yes		8/21/25 7:33		RTK		32		1.18		0.56		1.04		9213		-1338		Yes		RTK		3D		0.8		2741		0.591		0.472		0.472		1.513				WME		Water Meter

		UP2703		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2703		8/21/25 7:33		3725'23.5111"N		798'2.6408"W		1.674		439349.771		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		140		100		100		-5		8		10.731		-5.486		-6.075		Yes		8/21/25 7:33		RTK		32		1.18		0.56		1.04		9214		-1338		Yes		RTK		3D		1.8		2741		0.759		0.512		0.512		1.83				WME		Water Meter

		UP2704		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2704		8/21/25 7:34		3725'22.9697"N		798'3.6234"W		96.352		439446.123		0		UNKNOWN		22		32768		CLASSIC		OMNI PEAK		140		89.208		100		0		8		9.984		4.844		8.074		Yes		8/21/25 7:34		RTK		31		1.18		0.56		1.04		9131		-1338		Yes		RTK		3D		1.4		2741		0.85		0.551		0.512		2.027				WME		Water Meter

		UP2705		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2705		8/21/25 7:34		3725'22.8065"N		798'2.4022"W		99.775		439545.898		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		-5		10		12.426		-3.332		7.975		Yes		8/21/25 7:34		RTK		30		1.18		0.56		1.04		9141		-1338		Yes		RTK		3D		0.8		2741		0.85		0.551		0.512		2.027				WME		Water Meter

		UP2706		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2706		8/21/25 7:34		3725'23.1025"N		798'2.2270"W		33.181		439579.079		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		13.349		100		4		12		13.093		-1.62		84.951		Yes		8/21/25 7:35		RTK		31		1.18		0.56		1.04		9184		-1338		Yes		RTK		3D		2.4		2741		0.551		0.394		0.394		1.355				WME		Water Meter

		UP2707		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2707		8/21/25 7:35		3725'24.2739"N		798'0.7879"W		166.026		439745.105		0		UNKNOWN		93		32768		CLASSIC		OMNI PEAK		140		100		100		-5		11		6.742		-1.247		-37.385		Yes		8/21/25 7:35		RTK		32		1.25		0.59		1.1		9334		-1338		Yes		RTK		3D		0.8		2753		1.512		0.759		0.748		3.383				WME		Water Meter

		UP2708		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2708		8/21/25 7:36		3725'24.4713"N		798'0.5589"W		27.235		439772.34		0		UNKNOWN		35		32768		CLASSIC		OMNI PEAK		140		87.874		100		8		10		11.416		2.841		-4.916		Yes		8/21/25 7:36		RTK		31		1.25		0.59		1.1		9354		-1338		Yes		RTK		3D		0.8		2753		1.05		0.591		0.669		2.409				WME		Water Meter

		UP2709		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2709		8/21/25 7:39		3725'21.5970"N		797'58.7047"W		327.637		440099.977		0		UNKNOWN		96		32768		CLASSIC		OMNI PEAK		140		79.731		100		1		12		9.874		0.309		10.309		Yes		8/21/25 7:39		RTK		32		1.24		0.58		1.1		8994		-1338		Yes		RTK		3D		1		2753		0.759		0.512		0.551		1.83				WME		Water Meter

		UP2710		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2710		8/21/25 7:41		3725'22.9905"N		797'56.7168"W		213.629		440313.606		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		26.916		100		1		12		16.005		-6.798		-8.773		Yes		8/21/25 7:41		RTK		32		1.12		0.54		0.98		8864		-1338		Yes		RTK		3D		0.6		2753		0.672		0.512		0.512		1.689				WME		Water Meter

		UP2711		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2711		8/21/25 7:41		3725'23.0087"N		797'56.7342"W		2.322		440315.929		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		0		6		13.414		-5.513		-2.816		Yes		8/21/25 7:41		RTK		29		1.15		0.56		1.01		8843		-1338		Yes		RTK		3D		0.8		2753		1.05		0.948		0.63		2.828				WME		Water Meter

		UP2712		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2712		8/21/25 7:43		3725'18.6392"N		798'0.6041"W		541.957		440857.885		0		UNKNOWN		23		32768		CLASSIC		OMNI PEAK		140		57.691		100		-9		11		15.019		3.221		57.438		Yes		8/21/25 7:43		FLOAT RTK		30		1.14		0.56		1		8805		-1338		Yes		FLOAT RTK		3D		1.2		2753		2.577		1.841		0.394		6.333				WME		Water Meter

		UP2713		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2713		8/21/25 7:43		3725'17.9602"N		798'0.4827"W		69.572		440927.458		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		42.37		100		26		5		9.527		-3.893		31.821		Yes		8/21/25 7:43		RTK		30		1.12		0.54		0.98		8740		-1338		Yes		RTK		3D		0.6		2753		2.207		1.774		0.787		5.664				WME		Water Meter

		UP2714		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2714		8/21/25 7:44		3725'16.6297"N		798'2.4746"W		209.705		441137.163		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		19.331		100		-14		12		8.09		1.717		-65.356		Yes		8/21/25 7:44		RTK		31		1.12		0.54		0.98		8740		-1338		Yes		RTK		3D		0.6		2753		1.913		0.85		0.866		4.188				WME		Water Meter

		UP2715		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2715		8/21/25 7:44		3725'16.4385"N		798'2.2068"W		29.015		441166.177		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		59.621		100		-7		9		11.729		2.453		-38.751		Yes		8/21/25 7:44		RTK		31		1.12		0.54		0.98		8748		-1338		Yes		RTK		3D		1.4		2753		0.472		0.358		0.394		1.186				WME		Water Meter

		UP2716		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2716		8/21/25 7:45		3725'15.3771"N		798'3.5293"W		151.493		441317.671		0		UNKNOWN		546		32768		CLASSIC		OMNI PEAK		140		8.982		100		-33		13		9.437		0.575		-42.694		Yes		8/21/25 7:45		FLOAT RTK		32		1.12		0.54		0.98		8730		-1338		Yes		FLOAT RTK		3D		0.8		2753		8.098		6.442		1.299		20.696				WME		Water Meter

		UP2717		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2717		8/21/25 7:49		3725'25.2357"N		797'28.8856"W		2965.01		444282.681		0		UNKNOWN		1		32768		CLASSIC		OMNI PEAK		140		100		100		0		12		6.505		1.945		11.092		Yes		8/21/25 7:49		RTK		32		1.06		0.53		0.91		9541		-1339		Yes		RTK		3D		1.2		2753		1.388		0.591		0.669		3.018				WME		Water Meter

		UP2718		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2718		8/21/25 7:50		3725'25.8895"N		797'29.4620"W		80.969		444363.65		0		UNKNOWN		10		32768		CLASSIC		OMNI PEAK		140		100		100		3		9		19.15		-1.448		10.185		Yes		8/21/25 7:50		RTK		32		1.02		0.52		0.88		9524		-1339		Yes		RTK		3D		1.4		2753		0.85		0.512		0.512		1.985				WME		Water Meter

		UP2719		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2719		8/21/25 7:50		3725'26.4517"N		797'29.9322"W		68.473		444432.123		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		35.117		100		2		10		25.665		4.416		-27.226		Yes		8/21/25 7:50		RTK		32		1.02		0.52		0.88		9564		-1339		Yes		RTK		3D		1		2753		0.472		0.354		0.394		1.181				WME		Water Meter

		UP2720		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2720		8/21/25 7:51		3725'27.0718"N		797'29.8565"W		63.197		444495.32		0		UNKNOWN		122		32768		CLASSIC		OMNI PEAK		140		53.223		100		-4		8		4.217		0.466		-13.839		Yes		8/21/25 7:51		RTK		32		1.04		0.53		0.9		9554		-1339		Yes		RTK		3D		1.2		2753		0.591		0.472		0.433		1.513				WME		Water Meter

		UP2721		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2721		8/21/25 7:51		3725'27.1381"N		797'29.4944"W		29.939		444525.259		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		10.512		100		2		8		16.898		-1.457		14.351		Yes		8/21/25 7:51		RTK		32		1.02		0.52		0.88		9556		-1339		Yes		RTK		3D		1.4		2753		0.948		0.591		0.472		2.233				WME		Water Meter

		UP2722		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2722		8/21/25 7:52		3725'27.8220"N		797'31.8268"W		200.316		444725.574		0		UNKNOWN		41		32768		CLASSIC		OMNI PEAK		140		100		100		-2		13		9.549		4.205		4.861		Yes		8/21/25 7:52		RTK		32		1.06		0.53		0.91		9717		-1339		Yes		RTK		3D		1.6		2753		0.85		0.512		0.512		1.985				WME		Water Meter

		UP2723		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2723		8/21/25 7:52		3725'27.9305"N		797'32.7898"W		78.365		444803.939		0		UNKNOWN		237		32768		CLASSIC		OMNI PEAK		140		48.678		100		0		13		12.763		4.371		32.099		Yes		8/21/25 7:52		RTK		31		1.11		0.54		0.97		9694		-1339		Yes		RTK		3D		2		2753		0.85		0.512		0.472		1.985				WME		Water Meter

		UP2724		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2724		8/21/25 7:54		3725'28.5512"N		797'29.8300"W		246.636		445050.575		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		78.443		100		2		12		15.319		-0.087		47.418		Yes		8/21/25 7:54		RTK		32		1.11		0.57		0.95		9575		-1339		Yes		RTK		3D		1		2753		0.591		0.433		0.394		1.465				WME		Water Meter

		UP2725		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2725		8/21/25 7:55		3725'30.3799"N		797'29.2574"W		191.172		445241.748		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		49.095		100		-9		7		12.945		-2.536		59.17		Yes		8/21/25 7:55		RTK		32		1.06		0.53		0.92		9550		-1339		Yes		RTK		3D		1.4		2753		0.85		0.512		0.472		1.985				WME		Water Meter

		UP2726		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2726		8/21/25 7:55		3725'30.3968"N		797'29.6318"W		30.216		445271.963		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		81.506		100		-13		6		10.136		2.634		-0.59		Yes		8/21/25 7:55		RTK		32		1.08		0.52		0.95		9549		-1339		Yes		RTK		3D		1.4		2753		1.388		0.85		0.63		3.256				WME		Water Meter

		UP2727		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2727		8/21/25 7:56		3725'31.2030"N		797'29.4563"W		83		445354.963		0		UNKNOWN		16		32768		CLASSIC		OMNI PEAK		140		100		100		-2		11		17.648		-0.084		81.675		Yes		8/21/25 7:56		RTK		32		1.03		0.51		0.89		9538		-1339		Yes		RTK		3D		1.4		2753		0.433		0.315		0.394		1.071				WME		Water Meter

		UP2728		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2728		8/21/25 7:56		3725'31.5459"N		797'29.0399"W		48.33		445403.294		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		77.907		100		-8		9		7.568		6.011		59.287		Yes		8/21/25 7:56		RTK		32		1.03		0.51		0.89		9528		-1339		Yes		RTK		3D		1.4		2753		0.591		0.433		0.394		1.465				WME		Water Meter

		UP2729		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2729		8/21/25 7:57		3725'31.9358"N		797'29.4434"W		51.205		445454.499		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		140		100		100		-7		10		10.87		0.388		68.285		Yes		8/21/25 7:57		RTK		32		1.03		0.51		0.89		9524		-1339		Yes		RTK		3D		1.6		2753		0.85		0.512		0.512		1.985				WME		Water Meter

		UP2730		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2730		8/21/25 7:57		3725'32.1415"N		797'29.3663"W		21.771		445476.269		0		UNKNOWN		177		32768		CLASSIC		OMNI PEAK		140		89.716		100		1		12		10.853		-5.771		-71.401		Yes		8/21/25 7:57		RTK		32		1.03		0.51		0.89		9516		-1339		Yes		RTK		3D		1.6		2753		0.759		0.551		0.472		1.875				WME		Water Meter

		UP2731		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2731		8/21/25 7:57		3725'32.5970"N		797'28.9347"W		57.831		445534.1		0		UNKNOWN		10		32768		CLASSIC		OMNI PEAK		140		100		100		-6		8		10.966		-5.072		18.291		Yes		8/21/25 7:57		RTK		32		1.01		0.51		0.87		9518		-1339		Yes		RTK		3D		1.2		2753		0.591		0.378		0.394		1.402				WME		Water Meter

		UP2732		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2732		8/21/25 8:10		3725'33.2040"N		797'27.9156"W		102.637		445636.738		0		UNKNOWN		5		32768		CLASSIC		OMNI PEAK		140		100		100		6		8		9.959		6.028		-14.776		Yes		8/21/25 8:10		RTK		31		1.12		0.56		0.98		9539		-1339		Yes		RTK		3D		1		2753		2.858		0.672		0.551		5.872				WME		Water Meter

		UP2733		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2733		8/21/25 8:11		3725'32.9653"N		797'25.9674"W		158.816		445795.554		0		UNKNOWN		9		32768		CLASSIC		OMNI PEAK		140		100		100		3		12		4.264		0.014		-13.607		Yes		8/21/25 8:11		RTK		32		1.11		0.53		0.97		9469		-1339		Yes		RTK		3D		1.4		2753		0.948		0.85		0.63		2.546				WME		Water Meter

		UP2734		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2734		8/21/25 8:14		3725'33.0018"N		797'26.3447"W		30.623		445826.177		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		28.536		100		9		9		9.472		-1.714		88.278		Yes		8/21/25 8:14		RTK		32		1.1		0.54		0.96		9480		-1339		Yes		RTK		3D		1.4		2753		0.85		0.672		0.551		2.168				WME		Water Meter

		UP2735		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2735		8/21/25 8:15		3725'33.2636"N		797'25.2329"W		93.422		445919.599		0		UNKNOWN		33		32768		CLASSIC		OMNI PEAK		140		67.846		100		-10		9		7.955		-0.509		-84.315		Yes		8/21/25 8:15		RTK		32		1.07		0.56		0.91		9515		-1339		Yes		RTK		3D		1.4		2753		0.672		0.382		0.394		1.546				WME		Water Meter

		UP2736		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2736		8/21/25 8:16		3725'33.1508"N		797'24.3505"W		72.01		445991.609		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		-1		9		9.827		-0.619		5.457		Yes		8/21/25 8:16		RTK		32		1.04		0.52		0.9		9472		-1339		Yes		RTK		3D		1.6		2753		0.85		0.591		0.512		2.071				WME		Water Meter

		UP2737		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2737		8/21/25 8:17		3725'32.7763"N		797'24.6372"W		44.461		446036.07		0		UNKNOWN		27		32768		CLASSIC		OMNI PEAK		140		100		100		8		6		10.539		-2.413		-22.462		Yes		8/21/25 8:17		RTK		32		1.04		0.52		0.89		9401		-1339		Yes		RTK		3D		1.6		2753		1.05		0.759		0.63		2.59				WME		Water Meter

		UP2738		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2738		8/21/25 8:17		3725'32.6570"N		797'24.0493"W		48.886		446084.956		0		UNKNOWN		17		32768		CLASSIC		OMNI PEAK		140		100		100		0		11		5.229		4.664		-20.22		Yes		8/21/25 8:17		RTK		32		1.17		0.57		1.02		9395		-1339		Yes		RTK		3D		0.8		2753		1.05		0.512		0.394		2.336				WME		Water Meter

		UP2739		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2739		8/21/25 8:18		3725'33.0265"N		797'23.3987"W		64.44		446149.396		0		UNKNOWN		23		32768		CLASSIC		OMNI PEAK		140		87.738		100		1		10		10.516		5.776		21.123		Yes		8/21/25 8:18		FLOAT RTK		32		0.99		0.51		0.85		9450		-1339		Yes		FLOAT RTK		3D		1.4		2753		13.252		9.019		1.693		32.059				WME		Water Meter

		UP2740		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2740		8/21/25 8:18		3725'32.5987"N		797'23.4872"W		43.978		446193.374		0		UNKNOWN		94		32768		CLASSIC		OMNI PEAK		140		100		100		9		11		7.928		1.055		82.166		Yes		8/21/25 8:18		RTK		32		1.03		0.51		0.89		9354		-1339		Yes		RTK		3D		1.4		2753		0.394		0.343		0.394		1.044				WME		Water Meter

		UP2741		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2741		8/21/25 8:19		3725'32.1071"N		797'21.2192"W		189.401		446382.775		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		140		100		100		1		9		11.688		-0.301		-6.977		Yes		8/21/25 8:19		RTK		32		1.02		0.52		0.88		9248		-1339		Yes		RTK		3D		1.4		2753		1.512		1.05		0.709		3.681				WME		Water Meter

		UP2742		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2742		8/21/25 8:20		3725'31.8025"N		797'20.7434"W		49.239		446432.014		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		13.975		100		-5		8		3.502		2.586		71.734		Yes		8/21/25 8:20		RTK		32		1.09		0.54		0.95		9224		-1339		Yes		RTK		3D		1		2753		1.512		0.759		0.669		3.383				WME		Water Meter

		UP2743		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2743		8/21/25 8:32		3725'34.1865"N		797'29.5712"W		751.214		447183.228		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		40.18		100		11		11		8.751		1.869		78.056		Yes		8/21/25 8:32		RTK		32		0.99		0.52		0.84		9512		-1339		Yes		RTK		3D		1.4		2753		0.591		0.551		0.472		1.616				WME		Water Meter

		UP2744		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2744		8/21/25 8:32		3725'34.8202"N		797'29.7443"W		65.78		447249.008		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		17.253		100		0		11		15.733		-3.09		40.005		Yes		8/21/25 8:32		RTK		32		0.99		0.52		0.84		9517		-1339		Yes		RTK		3D		0.8		2753		0.433		0.327		0.394		1.085				WME		Water Meter

		UP2745		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2745		8/21/25 8:33		3725'34.9493"N		797'29.2034"W		45.5		447294.508		0		UNKNOWN		63		32768		CLASSIC		OMNI PEAK		140		100		100		-6		7		11.408		-8.994		-79.994		Yes		8/21/25 8:33		RTK		32		0.98		0.52		0.84		9541		-1339		Yes		RTK		3D		1.2		2753		0.512		0.394		0.394		1.291				WME		Water Meter

		UP2746		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2746		8/21/25 8:35		3725'35.8833"N		797'30.0228"W		115.482		447409.99		0		UNKNOWN		9		32768		CLASSIC		OMNI PEAK		140		100		100		-1		5		7.564		0.522		22.919		Yes		8/21/25 8:35		RTK		32		1.02		0.53		0.87		9534		-1339		Yes		RTK		3D		1.6		2753		0.551		0.472		0.433		1.452				WME		Water Meter

		UP2747		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2747		8/21/25 8:35		3725'36.4173"N		797'30.1825"W		55.685		447465.675		0		UNKNOWN		27		32768		CLASSIC		OMNI PEAK		140		100		100		-4		7		20.208		1.931		-22.727		Yes		8/21/25 8:35		RTK		31		1.06		0.56		0.9		9539		-1339		Yes		RTK		3D		0.8		2753		0.591		0.433		0.394		1.465				WME		Water Meter

		UP2748		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2748		8/21/25 8:36		3725'36.4968"N		797'29.6123"W		46.646		447512.321		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		24.913		100		-10		10		9.024		-3.076		75.119		Yes		8/21/25 8:36		RTK		31		1.01		0.53		0.86		9558		-1339		Yes		RTK		3D		1.8		2753		0.85		0.512		0.591		1.985				WME		Water Meter

		UP2749		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2749		8/21/25 8:36		3725'37.3828"N		797'29.9598"W		94.139		447606.46		0		UNKNOWN		25		32768		CLASSIC		OMNI PEAK		140		100		100		-10		5		14.206		-3.299		14.265		Yes		8/21/25 8:36		RTK		31		1.01		0.53		0.86		9550		-1339		Yes		RTK		3D		1		2753		0.433		0.378		0.394		1.15				WME		Water Meter

		UP2750		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2750		8/21/25 8:37		3725'37.3015"N		797'30.4673"W		41.71		447648.169		0		UNKNOWN		22		32768		CLASSIC		OMNI PEAK		140		100		100		-5		8		10.422		-3.318		-59.836		Yes		8/21/25 8:37		RTK		31		1.01		0.53		0.86		9542		-1339		Yes		RTK		3D		0.8		2753		0.85		0.759		0.591		2.279				WME		Water Meter

		UP2751		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2751		8/21/25 8:37		3725'37.6369"N		797'30.0130"W		49.981		447698.15		0		UNKNOWN		86		32768		CLASSIC		OMNI PEAK		140		90.26		100		1		11		9.759		-1.532		-53.973		Yes		8/21/25 8:37		RTK		30		1.01		0.53		0.86		9547		-1339		Yes		RTK		3D		1.4		2753		0.551		0.433		0.433		1.402				WME		Water Meter

		UP2752		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2752		8/21/25 8:38		3725'38.5253"N		797'30.2923"W		92.899		447791.048		0		UNKNOWN		33		32768		CLASSIC		OMNI PEAK		140		100		100		2		8		13.259		-3.013		86.002		Yes		8/21/25 8:38		RTK		31		1.05		0.56		0.89		9513		-1339		Yes		RTK		3D		1.8		2753		0.759		0.512		0.512		1.83				WME		Water Meter

		UP2753		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2753		8/21/25 8:38		3725'39.2341"N		797'30.4951"W		73.735		447864.784		0		UNKNOWN		24		32768		CLASSIC		OMNI PEAK		140		100		100		0		13		9.895		-1.658		-67.732		Yes		8/21/25 8:38		RTK		32		1.12		0.57		0.96		9496		-1339		Yes		RTK		3D		1.4		2753		0.433		0.354		0.394		1.119				WME		Water Meter

		UP2754		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2754		8/21/25 8:39		3725'39.1210"N		797'30.8744"W		32.641		447897.424		0		UNKNOWN		67		32768		CLASSIC		OMNI PEAK		140		65.032		100		3		6		8.21		3.742		9.286		Yes		8/21/25 8:39		RTK		32		1.04		0.56		0.88		9512		-1339		Yes		RTK		3D		1.6		2753		0.672		0.551		0.512		1.738				WME		Water Meter

		UP2755		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2755		8/21/25 8:40		3725'40.8537"N		797'30.3691"W		180.435		448077.859		0		UNKNOWN		571		32768		CLASSIC		OMNI PEAK		140		69.151		100		0		9		4.99		0.707		-61.859		Yes		8/21/25 8:40		RTK		32		1.04		0.56		0.88		9479		-1339		Yes		RTK		3D		0.8		2753		2.362		0.85		0.669		5.021				WME		Water Meter

		UP2756		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2756		8/21/25 8:40		3725'40.9472"N		797'30.9020"W		43.973		448121.832		0		UNKNOWN		15		32768		CLASSIC		OMNI PEAK		140		100		100		2		6		9.772		0.624		-74.109		Yes		8/21/25 8:40		RTK		32		1.06		0.56		0.9		9537		-1339		Yes		RTK		3D		2.2		2753		1.05		0.759		0.63		2.59				WME		Water Meter

		UP2757		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2757		8/21/25 8:40		3725'40.9628"N		797'30.9147"W		1.882		448123.714		0		UNKNOWN		10		32768		CLASSIC		OMNI PEAK		140		100		100		-3		10		18.104		2.741		63.741		Yes		8/21/25 8:40		RTK		32		1.06		0.57		0.89		9545		-1339		Yes		RTK		3D		1.4		2753		0.472		0.433		0.394		1.282				WME		Water Meter

		UP2758		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2758		8/21/25 8:52		3725'42.1709"N		797'30.0623"W		140.487		448264.201		0		UNKNOWN		81		32768		CLASSIC		OMNI PEAK		140		80.755		100		10		6		8.513		0.414		19.287		Yes		8/21/25 8:52		RTK		32		1.04		0.57		0.86		9433		-1339		Yes		RTK		3D		1		2753		0.759		0.512		0.472		1.83				WME		Water Meter

		UP2759		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2759		8/21/25 8:52		3725'42.1834"N		797'30.0674"W		1.335		448265.536		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		49.743		100		0		12		8.668		-3.629		-77.745		Yes		8/21/25 8:52		RTK		32		1.04		0.57		0.86		9431		-1339		Yes		RTK		3D		1.4		2753		0.672		0.512		0.512		1.689				WME		Water Meter

		UP2760		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2760		8/21/25 8:52		3725'42.3668"N		797'30.0116"W		19.138		448284.674		0		UNKNOWN		65		32768		CLASSIC		OMNI PEAK		140		71.022		100		-17		11		6.68		-1.515		-84.863		Yes		8/21/25 8:52		RTK		32		1.03		0.57		0.86		9439		-1339		Yes		RTK		3D		1		2753		1.388		0.85		0.709		3.256				WME		Water Meter

		UP2761		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2761		8/21/25 8:53		3725'43.8285"N		797'29.7420"W		149.877		448434.55		0		UNKNOWN		140		32768		CLASSIC		OMNI PEAK		140		28.543		100		21		10		7.567		-3.296		-16.703		Yes		8/21/25 8:53		RTK		32		1.17		0.63		0.98		9389		-1339		Yes		RTK		3D		1.4		2753		1.157		0.759		0.709		2.768				WME		Water Meter

		UP2762		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2762		8/21/25 8:53		3725'43.9320"N		797'29.7362"W		10.511		448445.061		0		UNKNOWN		388		32768		CLASSIC		OMNI PEAK		140		39.294		100		0		10		9.675		-2.919		-17.088		Yes		8/21/25 8:54		RTK		32		1.05		0.59		0.87		9388		-1339		Yes		RTK		3D		0.6		2753		1.157		0.672		0.669		2.677				WME		Water Meter

		UP2763		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2763		8/21/25 8:55		3725'44.8617"N		797'29.5429"W		95.594		448540.656		0		UNKNOWN		202		32768		CLASSIC		OMNI PEAK		140		33.652		100		-1		10		10.681		1.276		14.024		Yes		8/21/25 8:55		RTK		31		1.19		0.62		1.01		9379		-1339		Yes		RTK		3D		1		2753		3.593		2.058		1.024		8.281				WME		Water Meter

		UP2764		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2764		8/21/25 8:56		3725'44.4639"N		797'27.5798"W		163.221		448703.877		0		UNKNOWN		57		32768		CLASSIC		OMNI PEAK		140		89.14		100		5		8		11.846		-1.589		-2.366		Yes		8/21/25 8:56		RTK		29		1.1		0.59		0.93		9380		-1339		Yes		RTK		3D		1.2		2753		2.207		0.948		0.827		4.804				WME		Water Meter

		UP2765		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2765		8/21/25 8:56		3725'44.7431"N		797'27.6638"W		29.119		448732.996		0		UNKNOWN		511		32768		CLASSIC		OMNI PEAK		140		67.574		100		0		12		11.901		-2.39		-6.533		Yes		8/21/25 8:56		RTK		31		1.12		0.61		0.94		9375		-1339		Yes		RTK		3D		1		2753		1.64		1.05		0.787		3.895				WME		Water Meter

		UP2766		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2766		8/21/25 8:57		3725'44.4842"N		797'27.1458"W		49.304		448782.3		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		140		100		100		2		11		4.744		-0.506		52.241		Yes		8/21/25 8:57		RTK		31		1.14		0.6		0.97		9388		-1339		Yes		RTK		3D		1.4		2753		0.672		0.512		0.591		1.689				WME		Water Meter

		UP2767		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2767		8/21/25 8:57		3725'44.2110"N		797'26.5046"W		58.625		448840.925		0		UNKNOWN		13		32768		CLASSIC		OMNI PEAK		140		100		100		7		8		8.296		0.908		17.941		Yes		8/21/25 8:57		RTK		31		1.1		0.59		0.92		9384		-1339		Yes		RTK		3D		0.8		2753		1.64		1.27		0.748		4.15				WME		Water Meter

		UP2768		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2768		8/21/25 8:58		3725'44.4698"N		797'25.4646"W		87.801		448928.726		0		UNKNOWN		21		32768		CLASSIC		OMNI PEAK		140		100		100		1		12		11.52		3.908		8.067		Yes		8/21/25 8:58		RTK		31		1.14		0.6		0.97		9305		-1339		Yes		RTK		3D		0.6		2753		1.64		0.512		0.669		3.437				WME		Water Meter

		UP2769		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2769		8/21/25 8:59		3725'43.5819"N		797'25.1620"W		93.312		449022.038		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		80.429		100		0		12		11.152		0.365		13.297		Yes		8/21/25 8:59		RTK		30		1.14		0.6		0.96		9351		-1339		Yes		RTK		3D		1.4		2753		0.759		0.551		0.472		1.875				WME		Water Meter

		UP2770		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2770		8/21/25 8:59		3725'43.2573"N		797'24.4059"W		69.25		449091.289		0		UNKNOWN		16		32768		CLASSIC		OMNI PEAK		140		100		100		0		7		8.723		5.986		7.021		Yes		8/21/25 8:59		RTK		29		1.13		0.6		0.96		9269		-1339		Yes		RTK		3D		4.8		2753		2.522		1.388		0.906		5.758				WME		Water Meter

		UP2771		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2771		8/21/25 8:59		3725'42.9742"N		797'24.5821"W		32.044		449123.333		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		59.189		100		-4		9		8.472		0.96		-69.174		Yes		8/21/25 8:59		RTK		29		1.13		0.6		0.96		9288		-1339		Yes		RTK		3D		1.6		2876		3.034		2.207		1.142		7.504				WME		Water Meter

		UP2772		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2772		8/21/25 9:00		3725'43.3270"N		797'25.3219"W		69.519		449192.852		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		32.141		100		1		11		12.269		-0.404		51.727		Yes		8/21/25 9:00		RTK		30		1.13		0.6		0.96		9349		-1339		Yes		RTK		3D		1.4		2876		0.948		0.591		0.591		2.233				WME		Water Meter

		UP2773		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2773		8/21/25 9:00		3725'43.2137"N		797'25.8035"W		40.469		449233.321		0		UNKNOWN		125		32768		CLASSIC		OMNI PEAK		140		100		100		-1		12		4.141		-3.655		30.117		Yes		8/21/25 9:00		RTK		29		1.13		0.6		0.96		9404		-1339		Yes		RTK		3D		1.4		2876		1.388		1.27		0.787		3.764				WME		Water Meter

		UP2774		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2774		8/21/25 9:01		3725'43.6544"N		797'26.8499"W		95.422		449328.743		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		-1		11		13.573		-2.495		-27.326		Yes		8/21/25 9:01		RTK		30		1.15		0.63		0.97		9448		-1339		Yes		RTK		3D		0.8		2876		2.362		1.388		0.787		5.48				WME		Water Meter

		UP2775		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2775		8/21/25 9:03		3725'46.0772"N		797'28.8722"W		294.887		449623.63		0		UNKNOWN		26		32768		CLASSIC		OMNI PEAK		140		67.593		100		-2		9		9.895		4.819		-5.593		Yes		8/21/25 9:03		RTK		31		1.13		0.6		0.95		9329		-1339		Yes		RTK		3D		0.6		2876		2.362		1.05		0.866		5.17				WME		Water Meter

		UP2776		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2776		8/21/25 9:03		3725'46.4158"N		797'28.6166"W		40.053		449663.683		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		54.31		100		0		9		15.38		4.475		57.578		Yes		8/21/25 9:03		RTK		31		1.13		0.6		0.95		9314		-1339		Yes		RTK		3D		0.6		2876		1.05		0.551		0.669		2.372				WME		Water Meter

		UP2777		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2777		8/21/25 9:03		3725'46.5812"N		797'28.4920"W		19.548		449683.232		0		UNKNOWN		14		32768		CLASSIC		OMNI PEAK		140		100		100		0		11		13.777		1.933		15.569		Yes		8/21/25 9:03		RTK		30		1.12		0.6		0.95		9311		-1339		Yes		RTK		3D		1.4		2876		1.913		1.388		0.866		4.728				WME		Water Meter

		UP2778		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2778		8/21/25 9:03		3725'47.4069"N		797'27.8525"W		98.344		449781.575		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		-2		11		15.131		0.723		7.626		Yes		8/21/25 9:04		RTK		31		1.12		0.6		0.95		9288		-1339		Yes		RTK		3D		1.4		2876		0.948		0.591		0.591		2.233				WME		Water Meter

		UP2779		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2779		8/21/25 9:04		3725'47.8099"N		797'27.5370"W		48.138		449829.713		0		UNKNOWN		9		32768		CLASSIC		OMNI PEAK		140		100		100		1		8		6.747		1.82		-39.226		Yes		8/21/25 9:04		RTK		31		1.12		0.6		0.95		9277		-1339		Yes		RTK		3D		1.4		2876		1.388		0.85		0.709		3.256				WME		Water Meter

		UP2780		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2780		8/21/25 9:22		3726'12.7082"N		797'25.0138"W		2534.108		452363.821		0		UNKNOWN		16		32768		CLASSIC		OMNI PEAK		140		100		100		-4		13		14.641		0.891		-53.52		Yes		8/21/25 9:22		RTK		30		1.19		0.6		1.03		9951		-1339		Yes		RTK		3D		0.8		2876		0.759		0.551		0.512		1.875				WME		Water Meter

		UP2781		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2781		8/21/25 9:22		3726'12.7855"N		797'24.9559"W		9.13		452372.951		0		UNKNOWN		20		32768		CLASSIC		OMNI PEAK		140		100		100		-1		10		12.199		-1.038		29.423		Yes		8/21/25 9:22		FLOAT RTK		31		1.19		0.6		1.03		9947		-1339		Yes		FLOAT RTK		3D		1		2876		3.313		2.761		0.512		8.625				WME		Water Meter

		UP2782		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2782		8/21/25 9:23		3726'13.8436"N		797'24.3096"W		119.297		452492.248		0		UNKNOWN		25		32768		CLASSIC		OMNI PEAK		140		26.906		100		-5		8		3.796		-4.712		50.408		Yes		8/21/25 9:23		RTK		29		1.22		0.61		1.06		9897		-1339		Yes		RTK		3D		1		2876		1.27		1.157		0.748		3.437				WME		Water Meter

		UP2783		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2783		8/21/25 9:23		3726'14.2507"N		797'24.0627"W		45.837		452538.084		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		140		100		100		8		10		12.867		4.606		86.75		Yes		8/21/25 9:23		RTK		30		1.19		0.6		1.03		9870		-1339		Yes		RTK		3D		0.8		2876		0.551		0.472		0.433		1.452				WME		Water Meter

		UP2784		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2784		8/21/25 9:24		3726'16.0160"N		797'23.6827"W		181.696		452719.781		0		UNKNOWN		737		32768		CLASSIC		OMNI PEAK		140		100		100		-1		11		13.149		-2.273		31.277		Yes		8/21/25 9:24		RTK		31		1.18		0.6		1.02		9946		-1339		Yes		RTK		3D		1.2		2876		0.948		0.759		0.63		2.427				WME		Water Meter

		UP2785		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2785		8/21/25 9:25		3726'15.8657"N		797'24.3306"W		54.371		452774.151		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		60.406		100		4		13		11.368		1.796		4.277		Yes		8/21/25 9:25		RTK		31		1.22		0.61		1.05		10005		-1339		Yes		RTK		3D		1		2876		1.05		0.85		0.709		2.702				WME		Water Meter

		UP2786		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2786		8/21/25 9:26		3726'16.4357"N		797'25.2947"W		96.823		452870.974		0		UNKNOWN		146		32768		CLASSIC		OMNI PEAK		140		63.117		100		-7		7		12.345		2.974		86.708		Yes		8/21/25 9:26		RTK		30		1.21		0.61		1.05		10037		-1339		Yes		RTK		3D		1.2		2876		1.05		0.948		0.669		2.828				WME		Water Meter

		UP2787		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2787		8/21/25 9:26		3726'17.1565"N		797'25.9007"W		87.923		452958.897		0		UNKNOWN		30		32768		CLASSIC		OMNI PEAK		140		48.348		100		-4		10		12.214		1.102		78.266		Yes		8/21/25 9:26		RTK		30		1.21		0.61		1.05		10002		-1339		Yes		RTK		3D		1		2876		0.512		0.378		0.394		1.272				WME		Water Meter

		UP2788		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2788		8/21/25 9:27		3726'15.5043"N		797'27.1363"W		194.942		453153.839		0		UNKNOWN		181		32768		CLASSIC		OMNI PEAK		140		25.095		100		-2		9		13.533		4.891		-29.219		Yes		8/21/25 9:27		RTK		29		1.12		0.57		0.96		9969		-1339		Yes		RTK		3D		1		2876		0.948		0.759		0.63		2.427				WME		Water Meter

		UP2789		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2789		8/21/25 9:27		3726'15.7033"N		797'27.4429"W		31.897		453185.736		0		UNKNOWN		8		32768		CLASSIC		OMNI PEAK		140		100		100		-2		7		12.426		3.126		-74.363		Yes		8/21/25 9:27		RTK		30		1.12		0.57		0.96		9953		-1339		Yes		RTK		3D		1.4		2876		0.948		0.85		0.591		2.546				WME		Water Meter

		UP2790		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2790		8/21/25 9:28		3726'15.1508"N		797'27.9304"W		68.443		453254.179		0		UNKNOWN		8		32768		CLASSIC		OMNI PEAK		140		100		100		-1		9		6.628		1.572		1.316		Yes		8/21/25 9:28		RTK		30		1.12		0.57		0.96		9923		-1339		Yes		RTK		3D		1.6		2876		2.522		1.913		0.945		6.332				WME		Water Meter

		UP2791		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2791		8/21/25 9:28		3726'14.9257"N		797'27.6467"W		32.306		453286.485		0		UNKNOWN		35		32768		CLASSIC		OMNI PEAK		140		100		100		7		10		11.378		-0.921		-14.645		Yes		8/21/25 9:28		RTK		30		1.12		0.57		0.96		9939		-1339		Yes		RTK		3D		1		2876		0.433		0.433		0.394		1.225				WME		Water Meter

		UP2792		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2792		8/21/25 9:28		3726'14.4339"N		797'28.0843"W		61.082		453347.567		0		UNKNOWN		10		32768		CLASSIC		OMNI PEAK		140		100		100		2		8		20.701		-1.276		42.357		Yes		8/21/25 9:28		RTK		30		1.12		0.57		0.96		9925		-1339		Yes		RTK		3D		0.8		2876		0.37		0.343		0.394		1.009				WME		Water Meter

		UP2793		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2793		8/21/25 9:29		3726'14.5003"N		797'28.5229"W		35.971		453383.539		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		-1		13		11.511		0.455		50.234		Yes		8/21/25 9:29		RTK		30		1.12		0.57		0.96		9900		-1339		Yes		RTK		3D		1.4		2876		0.591		0.472		0.394		1.513				WME		Water Meter

		UP2794		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2794		8/21/25 9:31		3726'17.2613"N		797'26.7204"W		315.5		453699.038		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		22.582		100		0		12		13.794		-5.07		-85.451		Yes		8/21/25 9:31		RTK		30		1.12		0.57		0.96		9987		-1339		Yes		RTK		3D		1.2		2876		0.591		0.512		0.433		1.563				WME		Water Meter

		UP2795		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2795		8/21/25 9:31		3726'17.6035"N		797'26.6535"W		35.129		453734.167		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		17.12		100		1		12		12.371		-0.174		35.045		Yes		8/21/25 9:31		RTK		29		1.12		0.58		0.96		9974		-1339		Yes		RTK		3D		1		2876		0.512		0.472		0.394		1.393				WME		Water Meter

		UP2796		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2796		8/21/25 9:31		3726'17.6078"N		797'27.3854"W		58.959		453793.126		0		UNKNOWN		7		32768		CLASSIC		OMNI PEAK		140		94.712		100		0		10		7.467		0.449		16.482		Yes		8/21/25 9:32		RTK		28		1.12		0.57		0.96		9970		-1339		Yes		RTK		3D		1.2		2876		0.512		0.433		0.394		1.341				WME		Water Meter

		UP2797		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2797		8/21/25 9:32		3726'18.1814"N		797'27.5976"W		60.646		453853.773		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		140		100		100		0		11		9.042		2.902		3.939		Yes		8/21/25 9:32		RTK		29		1.11		0.57		0.96		9949		-1339		Yes		RTK		3D		0.8		2876		0.85		0.591		0.512		2.071				WME		Water Meter

		UP2798		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2798		8/21/25 9:32		3726'18.1777"N		797'28.3784"W		62.9		453916.672		0		UNKNOWN		8		32768		CLASSIC		OMNI PEAK		140		100		100		-4		7		12.256		-3.416		-26.313		Yes		8/21/25 9:32		RTK		31		1.11		0.57		0.96		9935		-1339		Yes		RTK		3D		0.6		2876		0.591		0.551		0.472		1.616				WME		Water Meter

		UP2799		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2799		8/21/25 9:34		3726'19.7045"N		797'26.6947"W		205.876		454122.549		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		140		100		100		3		9		12.592		4.337		-18.198		Yes		8/21/25 9:34		RTK		32		1.11		0.57		0.95		9914		-1339		Yes		RTK		3D		1.2		2876		0.512		0.512		0.433		1.448				WME		Water Meter

		UP2800		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2800		8/21/25 9:34		3726'20.0713"N		797'26.3013"W		48.88		454171.429		0		UNKNOWN		102		32768		CLASSIC		OMNI PEAK		140		36.186		100		1		11		7.731		2.697		8.072		Yes		8/21/25 9:34		RTK		32		1.11		0.57		0.95		9855		-1339		Yes		RTK		3D		1.2		2876		3.215		2.207		1.024		7.8				WME		Water Meter

		UP2801		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2801		8/21/25 9:34		3726'20.0860"N		797'26.2867"W		1.899		454173.328		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		23.114		100		-14		10		8.405		-4.15		75.827		Yes		8/21/25 9:34		RTK		31		1.11		0.57		0.95		9854		-1339		Yes		RTK		3D		0.6		2876		0.512		0.472		0.394		1.393				WME		Water Meter

		UP2802		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2802		8/21/25 9:35		3726'19.9975"N		797'27.1512"W		70.215		454243.544		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		36.404		100		-1		6		12.669		0.409		-50.62		Yes		8/21/25 9:35		RTK		32		1.11		0.57		0.95		9873		-1339		Yes		RTK		3D		1.4		2876		1.27		0.85		0.591		3.057				WME		Water Meter

		UP2803		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2803		8/21/25 9:36		3726'20.5570"N		797'25.2760"W		161.363		454404.906		0		UNKNOWN		86		32768		CLASSIC		OMNI PEAK		140		76.689		100		1		11		11.099		-1.915		45.275		Yes		8/21/25 9:36		RTK		32		1.11		0.57		0.95		9763		-1339		Yes		RTK		3D		0.8		2876		0.433		0.39		0.394		1.165				WME		Water Meter

		UP2804		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2804		8/21/25 9:36		3726'21.5567"N		797'24.3519"W		125.81		454530.716		0		UNKNOWN		41		32768		CLASSIC		OMNI PEAK		140		33.89		100		-27		8		7.796		-2.149		8.868		Yes		8/21/25 9:36		RTK		30		1.14		0.58		0.99		9700		-1339		Yes		RTK		3D		1.4		2876		1.05		0.85		0.63		2.702				WME		Water Meter

		UP2805		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2805		8/21/25 9:36		3726'21.5716"N		797'24.3421"W		1.707		454532.423		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		-2		6		14.621		-6.673		26.319		Yes		8/21/25 9:36		RTK		31		1.14		0.58		0.99		9700		-1339		Yes		RTK		3D		1		2876		0.85		0.759		0.591		2.279				WME		Water Meter

		UP2806		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2806		8/21/25 9:37		3726'21.9915"N		797'25.1942"W		80.78		454613.203		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		54.316		100		7		10		15.447		5.354		-37.135		Yes		8/21/25 9:37		FLOAT RTK		32		1.1		0.57		0.94		9607		-1339		Yes		FLOAT RTK		3D		1.2		2876		10.675		10.307		1.654		29.678				WME		Water Meter

		UP2807		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2807		8/21/25 9:41		3726'19.0606"N		797'29.4770"W		455.442		455068.645		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		20.684		100		0		12		8.542		-0.067		10.127		Yes		8/21/25 9:41		RTK		32		1.09		0.57		0.93		9867		-1339		Yes		RTK		3D		1.2		2876		0.85		0.759		0.551		2.279				WME		Water Meter

		UP2808		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2808		8/21/25 9:42		3726'20.2475"N		797'31.5743"W		207.464		455276.108		0		UNKNOWN		93		32768		CLASSIC		OMNI PEAK		140		72.215		100		5		6		9.561		4.038		81.27		Yes		8/21/25 9:42		FLOAT RTK		31		1.09		0.58		0.93		9813		-1339		Yes		FLOAT RTK		3D		2.4		2876		18.406		13.62		3.228		45.794				WME		Water Meter

		UP2809		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2809		8/21/25 9:43		3726'20.8067"N		797'32.8430"W		116.884		455392.992		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		29.056		100		1		12		8.247		2.545		-66.577		Yes		8/21/25 9:43		RTK		31		1.13		0.58		0.97		9681		-1339		Yes		RTK		3D		0.6		2876		0.759		0.551		0.472		1.875				WME		Water Meter

		UP2810		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2810		8/21/25 9:43		3726'21.2526"N		797'32.1319"W		72.994		455465.986		0		UNKNOWN		44		32768		CLASSIC		OMNI PEAK		140		100		100		0		7		11.646		-1.645		65.466		Yes		8/21/25 9:43		RTK		32		1.13		0.58		0.97		9729		-1339		Yes		RTK		3D		0.6		2876		0.591		0.551		0.433		1.616				WME		Water Meter

		UP2811		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2811		8/21/25 9:45		3726'21.5617"N		797'33.4837"W		113.312		455579.298		0		UNKNOWN		15		32768		CLASSIC		OMNI PEAK		140		100		100		-30		6		6.67		6.395		-27.206		Yes		8/21/25 9:45		RTK		30		1.13		0.58		0.97		9677		-1339		Yes		RTK		3D		1		2876		0.591		0.512		0.472		1.563				WME		Water Meter

		UP2812		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2812		8/21/25 9:45		3726'21.8036"N		797'34.3940"W		77.325		455656.623		0		UNKNOWN		45		32768		CLASSIC		OMNI PEAK		140		100		100		-8		8		11.849		-1.217		-79.476		Yes		8/21/25 9:45		RTK		31		1.08		0.56		0.92		9654		-1339		Yes		RTK		3D		1.2		2876		0.85		0.759		0.551		2.279				WME		Water Meter

		UP2813		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2813		8/21/25 9:46		3726'21.3354"N		797'35.1131"W		74.904		455731.527		0		UNKNOWN		50		32768		CLASSIC		OMNI PEAK		140		94.54		100		1		9		14.558		0.477		-81.71		Yes		8/21/25 9:46		RTK		31		1.08		0.56		0.92		9649		-1339		Yes		RTK		3D		1		2876		0.591		0.591		0.472		1.67				WME		Water Meter

		UP2814		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2814		8/21/25 9:46		3726'22.0465"N		797'35.6020"W		82.186		455813.713		0		UNKNOWN		7		32768		CLASSIC		OMNI PEAK		140		100		100		6		10		8.53		1.845		46.103		Yes		8/21/25 9:46		RTK		31		1.08		0.56		0.92		9599		-1339		Yes		RTK		3D		1.2		2876		0.85		0.591		0.551		2.071				WME		Water Meter

		UP2815		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2815		8/21/25 9:47		3726'21.6912"N		797'36.4770"W		79.166		455892.879		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		-3		13		10.951		0.433		-16.285		Yes		8/21/25 9:47		RTK		31		1.08		0.56		0.92		9581		-1339		Yes		RTK		3D		1.4		2876		0.759		0.591		0.512		1.923				WME		Water Meter

		UP2816		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2816		8/21/25 9:49		3726'22.4150"N		797'36.9595"W		83.077		455975.956		0		UNKNOWN		15		32768		CLASSIC		OMNI PEAK		140		100		100		-3		8		9.927		1.906		-14.306		Yes		8/21/25 9:49		RTK		31		1.07		0.56		0.91		9533		-1339		Yes		RTK		3D		1		2876		1.157		1.05		0.669		3.125				WME		Water Meter

		UP2817		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2817		8/21/25 9:49		3726'22.0370"N		797'38.0229"W		93.853		456069.809		0		UNKNOWN		277		32768		CLASSIC		OMNI PEAK		140		63.628		100		-25		8		8.528		0.671		-15.875		Yes		8/21/25 9:49		RTK		31		1.07		0.56		0.91		9507		-1339		Yes		RTK		3D		1		2876		1.388		1.27		0.709		3.764				WME		Water Meter

		UP2818		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2818		8/21/25 9:50		3726'22.7053"N		797'38.3287"W		72.133		456141.942		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		4.94		100		1		11		10.783		6.747		-16.075		Yes		8/21/25 9:50		RTK		31		1.07		0.56		0.91		9483		-1339		Yes		RTK		3D		1.6		2876		2.207		1.05		0.866		4.889				WME		Water Meter

		UP2819		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2819		8/21/25 9:51		3726'22.4304"N		797'39.5429"W		101.706		456243.648		0		UNKNOWN		56		32768		CLASSIC		OMNI PEAK		140		55.061		100		0		10		8.998		2.212		-43.138		Yes		8/21/25 9:51		RTK		31		1.07		0.56		0.91		9450		-1339		Yes		RTK		3D		1.4		2876		1.512		0.672		0.709		3.309				WME		Water Meter

		UP2820		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2820		8/21/25 9:51		3726'23.1810"N		797'39.8247"W		79.455		456323.102		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		100		100		12		7		10.246		0.176		-19.828		Yes		8/21/25 9:51		RTK		31		1.07		0.56		0.91		9423		-1339		Yes		RTK		3D		1.2		2876		0.759		0.672		0.512		2.027				WME		Water Meter

		UP2821		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2821		8/21/25 9:57		3726'23.1161"N		797'41.2624"W		115.993		456439.095		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		-5		8		16.409		-0.683		81.335		Yes		8/21/25 9:57		RTK		31		1.05		0.57		0.89		9286		-1339		Yes		RTK		3D		1.2		2876		1.512		1.157		0.709		3.808				WME		Water Meter

		UP2822		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2822		8/21/25 9:57		3726'23.7811"N		797'41.1628"W		67.944		456507.039		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		28.561		100		14		8		7.822		-2.532		-70.514		Yes		8/21/25 9:57		RTK		31		1.05		0.57		0.89		9245		-1339		Yes		RTK		3D		1.2		2876		1.774		1.512		0.787		4.662				WME		Water Meter

		UP2823		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2823		8/21/25 9:58		3726'24.2324"N		797'42.2137"W		96.241		456603.28		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		-1		10		12.874		-1.374		77.95		Yes		8/21/25 9:58		RTK		31		1.05		0.57		0.88		9124		-1339		Yes		RTK		3D		1.2		2876		1.27		0.948		0.63		3.17				WME		Water Meter

		UP2824		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2824		8/21/25 9:59		3726'24.6555"N		797'43.1998"W		90.284		456693.565		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		140		100		100		3		10		4.781		4.905		44.438		Yes		8/21/25 9:59		RTK		31		1.05		0.57		0.88		8998		-1339		Yes		RTK		3D		1		2876		1.157		0.948		0.669		2.992				WME		Water Meter

		UP2825		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2825		8/21/25 9:59		3726'24.4527"N		797'44.3470"W		94.674		456788.238		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		2		12		9.622		-0.275		-12.055		Yes		8/21/25 9:59		RTK		32		1.05		0.57		0.88		8920		-1339		Yes		RTK		3D		0.8		2876		0.759		0.512		0.472		1.83				WME		Water Meter

		UP2826		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2826		8/21/25 10:00		3726'25.0924"N		797'44.1603"W		66.625		456854.863		0		UNKNOWN		54		32768		CLASSIC		OMNI PEAK		140		80.069		100		39		6		12.267		-0.651		-2.204		Yes		8/21/25 10:00		RTK		32		1.04		0.57		0.88		8871		-1339		Yes		RTK		3D		1.2		2876		1.512		0.948		0.709		3.568				WME		Water Meter

		UP2827		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2827		8/21/25 10:00		3726'24.7919"N		797'45.3791"W		102.802		456957.665		0		UNKNOWN		13		32768		CLASSIC		OMNI PEAK		140		100		100		2		12		7.154		-1.931		-20		Yes		8/21/25 10:00		RTK		32		1.04		0.57		0.88		8820		-1339		Yes		RTK		3D		0.8		2876		0.759		0.672		0.551		2.027				WME		Water Meter

		UP2828		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2828		8/21/25 10:01		3726'25.2176"N		797'45.6938"W		50.077		457007.742		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		2.05		100		-11		6		11.341		-1.007		-50.327		Yes		8/21/25 10:01		RTK		31		1.04		0.57		0.87		8831		-1339		Yes		RTK		3D		1.8		2876		0.591		0.551		0.433		1.616				WME		Water Meter

		UP2829		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2829		8/21/25 10:07		3726'17.9371"N		797'22.3907"W		2017.181		459024.923		0		UNKNOWN		25		32768		CLASSIC		OMNI PEAK		140		100		100		4		9		11.214		-3.172		63.183		Yes		8/21/25 10:07		FLOAT RTK		31		1.02		0.57		0.84		9938		-1339		Yes		FLOAT RTK		3D		0.8		2876		3.865		3.313		0.709		10.181				WME		Water Meter

		UP2830		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2830		8/21/25 10:08		3726'17.1191"N		797'22.5229"W		83.669		459108.592		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		140		100		100		-1		11		14.961		0.143		-62.001		Yes		8/21/25 10:08		RTK		30		1.02		0.57		0.84		9908		-1339		Yes		RTK		3D		1.2		2876		2.207		2.058		0.866		6.035				WME		Water Meter

		UP2831		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2831		8/21/25 10:08		3726'16.4776"N		797'22.4948"W		65.121		459173.713		0		UNKNOWN		7		32768		CLASSIC		OMNI PEAK		140		100		100		0		11		14.68		-6.942		-20.15		Yes		8/21/25 10:08		RTK		30		1.03		0.58		0.85		9879		-1339		Yes		RTK		3D		1.4		2876		0.591		0.512		0.472		1.563				WME		Water Meter

		UP2832		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2832		8/21/25 10:11		3726'16.7437"N		797'20.1422"W		191.422		459365.135		0		UNKNOWN		9		32768		CLASSIC		OMNI PEAK		140		100		100		-4		9		10.805		0.564		47.026		Yes		8/21/25 10:11		RTK		32		1		0.57		0.83		9719		-1339		Yes		RTK		3D		1		2876		0.472		0.394		0.394		1.23				WME		Water Meter

		UP2833		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2833		8/21/25 10:13		3726'18.7987"N		797'18.4404"W		249.514		459614.65		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		3		11		17.735		0.359		82.594		Yes		8/21/25 10:13		RTK		32		1		0.57		0.82		9623		-1339		Yes		RTK		3D		1		2876		1.157		0.85		0.591		2.873				WME		Water Meter

		UP2834		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2834		8/21/25 10:13		3726'18.7997"N		797'18.4192"W		1.709		459616.359		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		10.758		100		0		11		8.727		-5.268		8.425		Yes		8/21/25 10:13		RTK		32		1		0.57		0.82		9626		-1339		Yes		RTK		3D		0.8		2876		1.913		1.05		0.63		4.365				WME		Water Meter

		UP2835		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2835		8/21/25 10:13		3726'19.0055"N		797'18.2041"W		27.134		459643.492		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		-2		10		18.78		4.492		18.419		Yes		8/21/25 10:13		RTK		32		1		0.57		0.82		9603		-1339		Yes		RTK		3D		1.4		2876		0.85		0.591		0.512		2.071				WME		Water Meter

		UP2836		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2836		8/21/25 10:13		3726'19.0170"N		797'18.1870"W		1.804		459645.296		0		UNKNOWN		7		32768		CLASSIC		OMNI PEAK		140		100		100		1		12		10.205		-4.9		46.437		Yes		8/21/25 10:13		RTK		32		1		0.57		0.82		9603		-1339		Yes		RTK		3D		2.2		2876		1.512		1.05		0.709		3.681				WME		Water Meter

		UP2837		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2837		8/21/25 10:18		3726'20.7321"N		797'13.3776"W		424.694		460069.99		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		20.598		100		-19		11		7.95		-3.144		50.249		Yes		8/21/25 10:18		RTK		32		1		0.58		0.82		9373		-1339		Yes		RTK		3D		1.2		2876		1.157		0.85		0.669		2.873				WME		Water Meter

		UP2838		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2838		8/21/25 10:19		3726'20.1577"N		797'12.5661"W		87.567		460157.558		0		UNKNOWN		28		32768		CLASSIC		OMNI PEAK		140		86.356		100		25		11		11.971		-5.162		-68.194		Yes		8/21/25 10:19		RTK		30		1.07		0.61		0.88		9379		-1339		Yes		RTK		3D		1.6		2876		0.85		0.672		0.551		2.168				WME		Water Meter

		UP2839		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2839		8/21/25 10:19		3726'20.1479"N		797'12.5547"W		1.358		460158.915		0		UNKNOWN		19		32768		CLASSIC		OMNI PEAK		140		68.955		100		1		6		1.582		-11.682		48.68		Yes		8/21/25 10:19		RTK		30		1.07		0.61		0.88		9380		-1339		Yes		RTK		3D		0.8		2876		0.948		0.591		0.512		2.233				WME		Water Meter

		UP2840		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2840		8/21/25 10:19		3726'20.1397"N		797'12.5447"W		1.153		460160.068		0		UNKNOWN		43		32768		CLASSIC		OMNI PEAK		140		77.634		100		0		10		5.231		-19.355		-2.536		Yes		8/21/25 10:19		RTK		30		1.07		0.61		0.88		9382		-1339		Yes		RTK		3D		1.6		2876		2.207		1.64		0.827		5.5				WME		Water Meter

		UP2841		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2841		8/21/25 10:19		3726'20.1243"N		797'12.5404"W		1.606		460161.674		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		0		9		16.952		5.756		80.582		Yes		8/21/25 10:19		RTK		30		1.07		0.61		0.88		9381		-1339		Yes		RTK		3D		1.2		2876		1.27		1.05		0.63		3.296				WME		Water Meter

		UP2842		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2842		8/21/25 10:19		3726'20.1098"N		797'12.4884"W		4.439		460166.113		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		1		10		9.189		6.82		78.819		Yes		8/21/25 10:19		RTK		30		1.07		0.61		0.88		9376		-1339		Yes		RTK		3D		0.6		2876		1.157		0.591		0.512		2.599				WME		Water Meter

		UP2843		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2843		8/21/25 10:19		3726'19.8973"N		797'12.4353"W		21.982		460188.096		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		11.262		100		13		9		8.571		4.425		-45.16		Yes		8/21/25 10:19		RTK		31		1		0.58		0.81		9363		-1339		Yes		RTK		3D		0.8		2876		1.157		0.759		0.591		2.768				WME		Water Meter

		UP2844		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2844		8/21/25 10:20		3726'18.6749"N		797'12.0233"W		128.379		460316.475		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		27.931		100		-1		8		10.012		0.966		88.099		Yes		8/21/25 10:20		RTK		31		1		0.58		0.81		9356		-1339		Yes		RTK		3D		1.4		2876		1.64		1.157		0.669		4.015				WME		Water Meter

		UP2845		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2845		8/21/25 10:21		3726'17.9067"N		797'11.1451"W		105.246		460421.721		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		45.006		100		1		11		11.537		2.451		79.044		Yes		8/21/25 10:21		RTK		31		1		0.58		0.81		9365		-1339		Yes		RTK		3D		0.8		2876		0.948		0.672		0.512		2.323				WME		Water Meter

		UP2846		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2846		8/21/25 10:21		3726'18.0038"N		797'10.3666"W		63.482		460485.203		0		UNKNOWN		88		32768		CLASSIC		OMNI PEAK		140		36.482		100		-11		10		5.746		0.724		60.93		Yes		8/21/25 10:21		RTK		31		1		0.58		0.81		9402		-1339		Yes		RTK		3D		1		2876		0.948		0.759		0.551		2.427				WME		Water Meter

		UP2847		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2847		8/21/25 10:21		3726'17.9809"N		797'10.2803"W		7.331		460492.533		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		1		11		8.338		0.248		-29.416		Yes		8/21/25 10:21		RTK		31		1		0.58		0.81		9399		-1339		Yes		RTK		3D		1		2876		1.05		0.759		0.591		2.59				WME		Water Meter

		UP2848		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2848		8/21/25 10:22		3726'17.3619"N		797'9.6651"W		79.998		460572.532		0		UNKNOWN		167		32768		CLASSIC		OMNI PEAK		140		100		100		-11		8		7.769		0.2		-68.006		Yes		8/21/25 10:22		RTK		31		0.99		0.58		0.81		9374		-1339		Yes		RTK		3D		1.4		2876		1.157		0.948		0.669		2.992				WME		Water Meter

		UP2849		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2849		8/21/25 10:22		3726'17.1033"N		797'9.3053"W		39.09		460611.621		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		15.922		100		4		12		9.218		-1.717		10.656		Yes		8/21/25 10:22		RTK		32		0.99		0.58		0.81		9346		-1339		Yes		RTK		3D		1.6		2876		1.64		1.27		0.669		4.15				WME		Water Meter

		UP2850		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2850		8/21/25 10:22		3726'16.7870"N		797'9.0578"W		37.781		460649.403		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		100		100		2		12		11.336		3.204		-6.498		Yes		8/21/25 10:22		RTK		31		1.06		0.61		0.87		9315		-1339		Yes		RTK		3D		1.2		2876		0.85		0.591		0.512		2.071				WME		Water Meter

		UP2851		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2851		8/21/25 10:23		3726'17.3988"N		797'10.6850"W		145.031		460794.434		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		140		100		100		-3		8		10.903		0.56		54.295		Yes		8/21/25 10:23		RTK		32		1.06		0.61		0.86		9379		-1339		Yes		RTK		3D		0.8		2876		1.64		0.948		0.669		3.789				WME		Water Meter

		UP2852		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2852		8/21/25 10:24		3726'16.7116"N		797'9.9197"W		93.061		460887.495		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		16.329		100		1		11		9.39		-4.295		-53.931		Yes		8/21/25 10:24		RTK		30		1.06		0.61		0.86		9351		-1339		Yes		RTK		3D		1		2876		0.759		0.591		0.512		1.923				WME		Water Meter

		UP2853		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2853		8/21/25 10:24		3726'15.6547"N		797'8.8345"W		138.346		461025.841		0		UNKNOWN		200		32768		CLASSIC		OMNI PEAK		140		43.445		100		-1		11		4.244		-2.194		-54.831		Yes		8/21/25 10:24		RTK		30		1.05		0.61		0.86		9265		-1339		Yes		RTK		3D		0.6		2876		1.388		0.85		0.63		3.256				WME		Water Meter

		UP2854		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2854		8/21/25 10:25		3726'16.2026"N		797'8.4695"W		62.889		461088.73		0		UNKNOWN		24		32768		CLASSIC		OMNI PEAK		140		100		100		3		8		16.142		6.257		-40.751		Yes		8/21/25 10:25		RTK		32		1.05		0.61		0.86		9228		-1339		Yes		RTK		3D		1.4		2876		0.472		0.433		0.394		1.282				WME		Water Meter

		UP2855		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2855		8/21/25 10:26		3726'15.6727"N		797'7.7810"W		77.238		461165.969		0		UNKNOWN		25		32768		CLASSIC		OMNI PEAK		140		100		100		-2		11		6.232		0.569		28.255		Yes		8/21/25 10:26		RTK		32		1.14		0.64		0.94		9171		-1339		Yes		RTK		3D		1.6		2876		0.948		0.591		0.512		2.233				WME		Water Meter

		UP2856		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2856		8/21/25 10:26		3726'15.1691"N		797'8.2682"W		64.428		461230.397		0		UNKNOWN		116		32768		CLASSIC		OMNI PEAK		140		66.887		100		-73		10		10.246		-1.713		13.948		Yes		8/21/25 10:26		RTK		32		1.05		0.61		0.85		9205		-1339		Yes		RTK		3D		1		2876		1.64		0.948		0.709		3.789				WME		Water Meter

		UP2857		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2857		8/21/25 10:31		3726'13.2149"N		797'6.0785"W		265.362		461495.759		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		34.557		100		1		13		13.538		0.046		-14.652		Yes		8/21/25 10:31		RTK		31		1.08		0.63		0.87		9075		-1339		Yes		RTK		3D		1.4		2876		1.27		0.948		0.63		3.17				WME		Water Meter

		UP2858		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2858		8/21/25 10:31		3726'12.8181"N		797'5.7279"W		49.17		461544.929		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		24.521		100		0		12		7.559		2.776		19.518		Yes		8/21/25 10:31		RTK		31		1.08		0.63		0.87		9108		-1339		Yes		RTK		3D		0.6		2876		1.157		0.591		0.551		2.599				WME		Water Meter

		UP2859		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2859		8/21/25 10:31		3726'13.1508"N		797'5.1310"W		58.743		461603.672		0		UNKNOWN		169		32768		CLASSIC		OMNI PEAK		140		41.338		100		6		13		7.921		-0.522		-15.407		Yes		8/21/25 10:31		RTK		31		1.08		0.63		0.87		9151		-1339		Yes		RTK		3D		1.2		2876		0.672		0.551		0.472		1.738				WME		Water Meter

		UP2860		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2860		8/21/25 10:32		3726'12.1600"N		797'4.9460"W		101.61		461705.282		0		UNKNOWN		28		32768		CLASSIC		OMNI PEAK		140		100		100		14		10		11.188		0.374		85.861		Yes		8/21/25 10:32		FLOAT RTK		31		1.08		0.63		0.87		9209		-1339		Yes		FLOAT RTK		3D		1		2876		20.246		13.068		2.835		48.194				WME		Water Meter

		UP2861		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2861		8/21/25 10:32		3726'11.5142"N		797'4.2143"W		88.13		461793.412		0		UNKNOWN		97		32768		CLASSIC		OMNI PEAK		140		56.227		100		-7		7		9.909		0.549		44.786		Yes		8/21/25 10:32		RTK		30		0.98		0.6		0.78		9241		-1339		Yes		RTK		3D		2		2876		1.05		0.759		0.551		2.59				WME		Water Meter

		UP2862		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2862		8/21/25 10:33		3726'12.8100"N		797'4.5101"W		133.601		461927.013		0		UNKNOWN		40		32768		CLASSIC		OMNI PEAK		140		100		100		0		13		6.369		-2.288		51.983		Yes		8/21/25 10:33		RTK		31		1.18		0.68		0.96		9266		-1339		Yes		RTK		3D		1		2876		1.27		0.85		0.787		3.057				WME		Water Meter

		UP2863		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2863		8/21/25 10:34		3726'11.5144"N		797'4.2123"W		133.611		462060.624		0		UNKNOWN		99		32768		CLASSIC		OMNI PEAK		140		74.315		100		-5		12		11.754		1.311		10.872		Yes		8/21/25 10:34		RTK		31		1.08		0.63		0.87		9242		-1339		Yes		RTK		3D		1.2		2876		0.759		0.672		0.551		2.027				WME		Water Meter

		UP2864		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2864		8/21/25 10:35		3726'11.6685"N		797'3.4024"W		67.089		462127.713		0		UNKNOWN		9		32768		CLASSIC		OMNI PEAK		140		100		100		-4		6		9.207		3.261		-28.897		Yes		8/21/25 10:35		RTK		29		1.08		0.63		0.87		9280		-1339		Yes		RTK		3D		1.4		2876		1.774		1.512		0.787		4.662				WME		Water Meter

		UP2865		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2865		8/21/25 10:36		3726'10.7965"N		797'3.4004"W		88.459		462216.172		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		140		51.051		100		-1		11		16.445		-0.726		-24.53		Yes		8/21/25 10:36		RTK		31		1.08		0.63		0.87		9193		-1339		Yes		RTK		3D		1		2876		1.913		1.27		0.709		4.593				WME		Water Meter

		UP2866		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2866		8/21/25 10:36		3726'10.8015"N		797'2.3808"W		82.134		462298.306		0		UNKNOWN		14		32768		CLASSIC		OMNI PEAK		140		54.925		100		-10		5		11.603		-0.789		21.68		Yes		8/21/25 10:36		RTK		31		1.08		0.63		0.87		9218		-1339		Yes		RTK		3D		1.4		2876		1.157		0.948		0.669		2.992				WME		Water Meter

		UP2867		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2867		8/21/25 10:44		3726'8.6516"N		797'5.9760"W		362.559		462660.865		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		15.5		100		-1		10		6.617		2.59		-1.503		Yes		8/21/25 10:44		FLOAT RTK		30		0.95		0.57		0.75		8929		-1339		Yes		FLOAT RTK		3D		0.8		2876		9.203		4.969		1.024		20.918				WME		Water Meter

		UP2868		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2868		8/21/25 10:44		3726'8.0073"N		797'6.7148"W		88.393		462749.259		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		59.255		100		1		11		10.539		1.077		-24.831		Yes		8/21/25 10:44		RTK		30		0.95		0.57		0.76		8876		-1339		Yes		RTK		3D		1.2		2876		0.948		0.672		0.591		2.323				WME		Water Meter

		UP2869		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2869		8/21/25 10:45		3726'7.7485"N		797'5.8246"W		76.365		462825.624		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		140		100		100		0		6		10.937		2.945		-46.105		Yes		8/21/25 10:45		RTK		31		0.93		0.56		0.74		8884		-1339		Yes		RTK		3D		1.6		2876		0.948		0.672		0.551		2.323				WME		Water Meter

		UP2870		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2870		8/21/25 10:49		3726'9.9944"N		797'1.5890"W		410.284		463235.907		0		UNKNOWN		14		32768		CLASSIC		OMNI PEAK		140		100		100		4		6		9.514		0.978		46.917		Yes		8/21/25 10:49		RTK		29		1.04		0.61		0.84		9168		-1339		Yes		RTK		3D		1		2876		2.058		1.27		0.748		4.837				WME		Water Meter

		UP2871		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2871		8/21/25 10:49		3726'9.9257"N		797'1.5362"W		8.158		463244.066		0		UNKNOWN		79		32768		CLASSIC		OMNI PEAK		140		50.096		100		0		13		13.183		3.02		88.175		Yes		8/21/25 10:49		RTK		31		1.04		0.61		0.84		9157		-1339		Yes		RTK		3D		1		2876		0.948		0.591		0.551		2.233				WME		Water Meter

		UP2872		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2872		8/21/25 10:50		3726'8.5912"N		796'59.8622"W		191.084		463435.15		0		UNKNOWN		11		32768		CLASSIC		OMNI PEAK		140		100		100		-9		7		4.146		-0.847		1.352		Yes		8/21/25 10:50		RTK		31		1.04		0.61		0.84		9093		-1339		Yes		RTK		3D		1.4		2876		1.27		0.85		0.63		3.057				WME		Water Meter

		UP2873		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2873		8/21/25 10:51		3726'7.9581"N		797'0.3379"W		74.79		463509.94		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		15.822		100		1		12		8.368		4.356		-12.389		Yes		8/21/25 10:51		RTK		31		1.04		0.61		0.84		9051		-1339		Yes		RTK		3D		0.8		2876		1.05		0.672		0.551		2.493				WME		Water Meter

		UP2874		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2874		8/21/25 10:51		3726'8.2941"N		797'0.6520"W		42.452		463552.392		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		14.657		100		0		14		10.868		1.42		30.305		Yes		8/21/25 10:51		FLOAT RTK		30		1.04		0.61		0.84		9049		-1339		Yes		FLOAT RTK		3D		1.4		2876		9.203		6.074		1.535		22.053				WME		Water Meter

		UP2875		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2875		8/21/25 10:52		3726'9.1352"N		797'1.5611"W		112.448		463664.84		0		UNKNOWN		71		32768		CLASSIC		OMNI PEAK		140		100		100		0		12		15.592		-3.878		10.909		Yes		8/21/25 10:52		RTK		30		1.1		0.65		0.89		9108		-1339		Yes		RTK		3D		1		2876		0.672		0.512		0.433		1.689				WME		Water Meter

		UP2876		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2876		8/21/25 10:52		3726'9.9964"N		797'2.5217"W		116.705		463781.545		0		UNKNOWN		9		32768		CLASSIC		OMNI PEAK		140		100		100		1		9		7.054		1.269		15.144		Yes		8/21/25 10:52		RTK		30		1.04		0.61		0.84		9149		-1339		Yes		RTK		3D		0.6		2876		1.388		0.85		0.827		3.256				WME		Water Meter

		UP2877		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2877		8/21/25 10:54		3726'6.2666"N		796'58.4598"W		500.242		464281.787		0		UNKNOWN		72		32768		CLASSIC		OMNI PEAK		140		42.428		100		44		8		12.541		-6.98		-8.846		Yes		8/21/25 10:54		RTK		29		1.04		0.61		0.84		9067		-1339		Yes		RTK		3D		1		2876		0.85		0.591		0.63		2.071				WME		Water Meter

		UP2878		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2878		8/21/25 10:55		3726'5.4779"N		796'57.5183"W		110.245		464392.032		0		UNKNOWN		26		32768		CLASSIC		OMNI PEAK		140		100		100		-4		9		8.049		1.706		18.17		Yes		8/21/25 10:55		RTK		29		1.1		0.65		0.89		9149		-1339		Yes		RTK		3D		1.6		2876		1.512		1.05		0.669		3.681				WME		Water Meter

		UP2879		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2879		8/21/25 10:55		3726'5.5664"N		796'56.6261"W		72.426		464464.458		0		UNKNOWN		101		32768		CLASSIC		OMNI PEAK		140		100		100		-1		7		12.831		-4.214		-21.967		Yes		8/21/25 10:55		RTK		29		1.04		0.61		0.84		9227		-1339		Yes		RTK		3D		1		2876		1.27		0.948		0.591		3.17				WME		Water Meter

		UP2880		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2880		8/21/25 10:56		3726'5.0637"N		796'56.0411"W		69.435		464533.894		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		140		100		100		-4		11		9.787		0.207		22.806		Yes		8/21/25 10:56		RTK		30		1.04		0.62		0.84		9310		-1339		Yes		RTK		3D		0.6		2876		1.05		0.591		0.551		2.409				WME		Water Meter

		UP2881		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2881		8/21/25 10:57		3726'4.2064"N		796'54.7374"W		136.358		464670.252		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		64.569		100		3		11		7.055		3.033		1.588		Yes		8/21/25 10:57		RTK		29		1.1		0.65		0.89		9357		-1339		Yes		RTK		3D		1		2876		1.05		0.672		0.551		2.493				WME		Water Meter

		UP2882		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2882		8/21/25 10:57		3726'3.5733"N		796'55.0461"W		68.872		464739.123		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		42.394		100		31		8		9.956		2.322		-9.62		Yes		8/21/25 10:57		RTK		29		1.04		0.62		0.84		9313		-1339		Yes		RTK		3D		0.6		2876		1.05		0.759		0.551		2.59				WME		Water Meter

		UP2883		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2883		8/21/25 10:57		3726'3.6784"N		796'55.1658"W		14.371		464753.495		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		3.465		100		-17		10		6.7		-1.204		-16.043		Yes		8/21/25 10:57		RTK		29		1.04		0.62		0.84		9310		-1339		Yes		RTK		3D		1.8		2876		0.948		0.759		0.63		2.427				WME		Water Meter

		UP2884		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2884		8/21/25 10:58		3726'4.0200"N		796'55.7027"W		55.423		464808.918		0		UNKNOWN		38		32768		CLASSIC		OMNI PEAK		140		100		100		-2		8		5.499		0.823		23.172		Yes		8/21/25 10:58		RTK		29		1.04		0.62		0.84		9305		-1339		Yes		RTK		3D		2		2876		1.64		1.388		0.827		4.298				WME		Water Meter

		UP2885		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2885		8/21/25 10:58		3726'4.5307"N		796'56.4649"W		80.34		464889.258		0		UNKNOWN		30		32768		CLASSIC		OMNI PEAK		140		100		100		-9		6		6.951		1.579		-31.288		Yes		8/21/25 10:58		RTK		29		1.04		0.62		0.84		9260		-1339		Yes		RTK		3D		1.4		2876		1.388		1.388		0.866		3.927				WME		Water Meter

		UP2886		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2886		8/21/25 10:59		3726'5.4787"N		796'57.5162"W		128.148		465017.406		0		UNKNOWN		13		32768		CLASSIC		OMNI PEAK		140		100		100		0		8		10.66		0.519		87.996		Yes		8/21/25 10:59		RTK		29		1.04		0.62		0.84		9149		-1339		Yes		RTK		3D		0.8		2876		0.591		0.551		0.472		1.616				WME		Water Meter

		UP2887		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2887		8/21/25 11:01		3726'3.7379"N		796'54.0292"W		331.806		465349.212		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		140		100		100		1		13		8.353		1.716		37.427		Yes		8/21/25 11:01		RTK		29		1.04		0.62		0.84		9317		-1339		Yes		RTK		3D		0.8		2876		1.157		0.948		0.669		2.992				WME		Water Meter

		UP2888		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2888		8/21/25 11:01		3726'3.3530"N		796'53.1118"W		83.587		465432.799		0		UNKNOWN		19		32768		CLASSIC		OMNI PEAK		140		89.575		100		1		9		7.613		2.351		25.073		Yes		8/21/25 11:01		RTK		29		1.04		0.62		0.84		9264		-1339		Yes		RTK		3D		1.4		2876		2.362		1.388		0.945		5.48				WME		Water Meter

		UP2889		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2889		8/21/25 11:02		3726'2.9879"N		796'52.1349"W		86.972		465519.771		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		74.533		100		0		11		7.822		0.275		-19.885		Yes		8/21/25 11:02		RTK		29		1.1		0.65		0.89		9156		-1339		Yes		RTK		3D		1.2		2876		1.05		0.672		0.591		2.493				WME		Water Meter

		UP2890		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2890		8/21/25 11:02		3726'2.9334"N		796'51.8915"W		20.38		465540.151		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		3.875		100		9		9		6.862		8.399		-1.193		Yes		8/21/25 11:02		RTK		28		1.04		0.62		0.84		9144		-1339		Yes		RTK		3D		0.8		2876		1.774		1.157		0.787		4.237				WME		Water Meter

		UP2891		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2891		8/21/25 11:02		3726'2.6713"N		796'51.0878"W		69.983		465610.134		0		UNKNOWN		24		32768		CLASSIC		OMNI PEAK		140		100		100		-4		7		9.672		-0.09		73.538		Yes		8/21/25 11:02		RTK		28		1.1		0.65		0.89		9054		-1339		Yes		RTK		3D		1.4		2876		1.05		0.759		0.551		2.59				WME		Water Meter

		UP2892		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2892		8/21/25 11:03		3726'2.1076"N		796'49.3871"W		148.462		465758.597		0		UNKNOWN		29		32768		CLASSIC		OMNI PEAK		140		100		100		14		11		6.554		-0.607		-52.499		Yes		8/21/25 11:03		RTK		29		1.1		0.65		0.89		8926		-1339		Yes		RTK		3D		1		2876		0.759		0.551		0.512		1.875				WME		Water Meter

		UP2893		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2893		8/21/25 11:03		3726'2.0514"N		796'49.1580"W		19.322		465777.918		0		UNKNOWN		15		32768		CLASSIC		OMNI PEAK		140		100		100		0		12		8.394		1.406		-20.908		Yes		8/21/25 11:03		RTK		30		1.1		0.65		0.89		8886		-1339		Yes		RTK		3D		1.4		2876		3.034		1.913		0.984		7.174				WME		Water Meter

		UP2894		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2894		8/21/25 11:04		3726'1.9269"N		796'48.7958"W		31.787		465809.705		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		16.835		100		0		13		6.747		-3.229		72.81		Yes		8/21/25 11:04		RTK		30		1.1		0.65		0.89		8857		-1339		Yes		RTK		3D		1.6		2876		1.27		0.948		0.591		3.17				WME		Water Meter

		UP2895		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2895		8/21/25 11:04		3726'1.8512"N		796'48.6080"W		16.972		465826.677		0		UNKNOWN		32		32768		CLASSIC		OMNI PEAK		140		86.509		100		-4		11		7.944		-4.806		-43.12		Yes		8/21/25 11:04		RTK		30		1.1		0.65		0.89		8833		-1339		Yes		RTK		3D		1.6		2876		1.05		0.948		0.63		2.828				WME		Water Meter

		UP2896		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2896		8/21/25 11:04		3726'1.4748"N		796'49.2363"W		63.406		465890.083		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		61.932		100		-9		11		7.038		-6.241		35.421		Yes		8/21/25 11:04		RTK		30		1.1		0.65		0.89		8855		-1339		Yes		RTK		3D		1.2		2876		0.672		0.591		0.551		1.789				WME		Water Meter

		UP2897		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2897		8/21/25 11:09		3726'2.6116"N		796'52.8170"W		310.647		466200.73		0		UNKNOWN		66		32768		CLASSIC		OMNI PEAK		140		17.451		100		60		7		11.559		0.76		-13.346		Yes		8/21/25 11:09		RTK		30		1.05		0.63		0.84		9201		-1339		Yes		RTK		3D		1		2876		1.05		0.672		0.551		2.493				WME		Water Meter

		UP2898		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2898		8/21/25 11:18		3725'59.0967"N		796'51.6077"W		369.655		466570.385		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		11.662		100		-55		11		10.411		2.743		86.603		Yes		8/21/25 11:18		RTK		29		1.11		0.62		0.92		8879		-1339		Yes		RTK		3D		0.8		2876		0.672		0.551		0.433		1.738				WME		Water Meter

		UP2899		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2899		8/21/25 11:18		3725'58.5050"N		796'52.1654"W		74.975		466645.36		0		UNKNOWN		19		32768		CLASSIC		OMNI PEAK		140		100		100		1		9		12.734		-2.891		19.335		Yes		8/21/25 11:18		RTK		29		1.18		0.65		0.98		8890		-1339		Yes		RTK		3D		0.8		2876		1.27		0.85		0.591		3.057				WME		Water Meter

		UP2900		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2900		8/21/25 11:19		3725'57.9950"N		796'53.1426"W		94.204		466739.564		0		UNKNOWN		14		32768		CLASSIC		OMNI PEAK		140		80.907		100		11		11		7.69		-6.606		-50.581		Yes		8/21/25 11:19		RTK		29		1.04		0.6		0.85		8939		-1339		Yes		RTK		3D		2.2		2876		2.058		1.157		0.709		4.722				WME		Water Meter

		UP2901		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2901		8/21/25 11:20		3725'57.2994"N		796'54.7465"W		147.224		466886.787		0		UNKNOWN		9		32768		CLASSIC		OMNI PEAK		140		90.716		100		0		7		6.62		1.154		48.731		Yes		8/21/25 11:20		RTK		29		1.15		0.63		0.96		8963		-1339		Yes		RTK		3D		1.6		2876		0.672		0.551		0.433		1.738				WME		Water Meter

		UP2902		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2902		8/21/25 11:20		3725'57.0863"N		796'55.3938"W		56.449		466943.237		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		46.118		100		-4		12		4.189		-1.056		84.323		Yes		8/21/25 11:20		RTK		29		1.22		0.65		1.03		8950		-1339		Yes		RTK		3D		0.6		2876		1.157		0.672		0.512		2.677				WME		Water Meter

		UP2903		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2903		8/21/25 11:31		3725'58.5046"N		796'52.1622"W		297.447		467240.683		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		52.401		100		-16		10		20.91		-1.456		-32.471		Yes		8/21/25 11:31		RTK		27		1.19		0.63		1.02		8888		-1339		Yes		RTK		3D		2.2		2876		0.948		0.551		0.472		2.192				WME		Water Meter

		UP2904		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2904		8/21/25 11:31		3725'57.9941"N		796'53.1400"W		94.273		467334.957		0		UNKNOWN		8		32768		CLASSIC		OMNI PEAK		140		100		100		0		9		15.312		-2.412		-8.625		Yes		8/21/25 11:31		RTK		27		1.2		0.63		1.02		8938		-1339		Yes		RTK		3D		1.4		2876		1.27		0.85		0.551		3.057				WME		Water Meter

		UP2905		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2905		8/21/25 11:31		3725'57.8751"N		796'53.3466"W		20.553		467355.51		0		UNKNOWN		54		32768		CLASSIC		OMNI PEAK		140		78.043		100		2		7		5.154		-1		-8.781		Yes		8/21/25 11:31		RTK		28		1.2		0.63		1.02		8935		-1339		Yes		RTK		3D		0.8		2876		2.058		1.64		0.787		5.263				WME		Water Meter

		UP2906		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2906		8/21/25 11:33		3725'57.9930"N		796'53.1404"W		20.469		467375.978		0		UNKNOWN		29		32768		CLASSIC		OMNI PEAK		140		44.691		100		22		10		19.713		0.834		-3.575		Yes		8/21/25 11:33		RTK		28		1.2		0.62		1.02		8939		-1339		Yes		RTK		3D		2		2876		1.388		1.05		0.63		3.481				WME		Water Meter

		UP2907		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2907		8/21/25 11:33		3725'57.8738"N		796'53.3462"W		20.52		467396.498		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		51.474		100		6		7		15.186		-1.893		-23.632		Yes		8/21/25 11:33		RTK		28		1.3		0.68		1.11		8933		-1339		Yes		RTK		3D		1.2		2876		1.27		0.759		0.551		2.959				WME		Water Meter

		UP2908		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2908		8/21/25 11:34		3725'57.2989"N		796'54.7482"W		127.119		467523.617		0		UNKNOWN		29		32768		CLASSIC		OMNI PEAK		140		100		100		36		4		11.368		-4.927		11.345		Yes		8/21/25 11:34		RTK		28		1.2		0.62		1.03		8964		-1339		Yes		RTK		3D		1.2		2876		0.948		0.672		0.512		2.323				WME		Water Meter

		UP2909		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2909		8/21/25 11:34		3725'57.0849"N		796'55.3959"W		56.513		467580.13		0		UNKNOWN		5		32768		CLASSIC		OMNI PEAK		140		100		100		0		11		9.749		-4.583		7.745		Yes		8/21/25 11:34		RTK		28		1.2		0.62		1.03		8952		-1339		Yes		RTK		3D		1.2		2876		0.948		0.591		0.472		2.233				WME		Water Meter

		UP2910		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2910		8/21/25 11:35		3725'56.9554"N		796'55.7403"W		30.699		467610.829		0		UNKNOWN		78		32768		CLASSIC		OMNI PEAK		140		63.37		100		0		10		11.498		-5.17		-36.447		Yes		8/21/25 11:35		RTK		28		1.2		0.62		1.03		8947		-1339		Yes		RTK		3D		0.8		2876		1.27		0.948		0.591		3.17				WME		Water Meter

		UP2911		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2911		8/21/25 11:35		3725'56.0648"N		796'57.0680"W		140.011		467750.839		0		UNKNOWN		11		32768		CLASSIC		OMNI PEAK		140		95.806		100		-18		11		6.599		-2.753		81.849		Yes		8/21/25 11:35		RTK		28		1.3		0.67		1.11		8821		-1339		Yes		RTK		3D		1.6		2876		0.948		0.759		0.551		2.427				WME		Water Meter

		UP2912		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2912		8/21/25 11:36		3725'55.4482"N		796'57.3802"W		67.416		467818.256		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		100		100		-2		12		5.124		2.237		-13.92		Yes		8/21/25 11:36		RTK		28		1.3		0.67		1.11		8759		-1339		Yes		RTK		3D		1.2		2876		0.551		0.472		0.394		1.452				WME		Water Meter

		UP2913		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2913		8/21/25 11:38		3725'54.6224"N		796'57.3977"W		83.792		467902.047		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		16.345		100		92		10		7.502		5.028		78.059		Yes		8/21/25 11:39		RTK		28		1.29		0.67		1.11		8686		-1339		Yes		RTK		3D		1.4		2876		1.64		1.05		0.669		3.895				WME		Water Meter

		UP2914		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2914		8/21/25 11:39		3725'53.9150"N		796'56.8646"W		83.634		467985.682		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		26.704		100		16		8		12.178		-1.973		68.598		Yes		8/21/25 11:39		RTK		26		1.21		0.62		1.04		8622		-1339		Yes		RTK		3D		1		2876		1.64		1.05		0.63		3.895				WME		Water Meter

		UP2915		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2915		8/21/25 11:39		3725'53.8693"N		796'56.8150"W		6.122		467991.804		0		UNKNOWN		11		32768		CLASSIC		OMNI PEAK		140		100		100		2		12		11.276		-0.045		-26.085		Yes		8/21/25 11:39		RTK		28		1.21		0.62		1.04		8616		-1339		Yes		RTK		3D		0.8		2876		1.05		0.672		0.512		2.493				WME		Water Meter

		UP2916		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2916		8/21/25 11:40		3725'53.2776"N		796'55.2655"W		138.508		468130.312		0		UNKNOWN		13		32768		CLASSIC		OMNI PEAK		140		100		100		-2		12		7.469		0.218		-35.336		Yes		8/21/25 11:40		RTK		28		1.21		0.62		1.04		8458		-1339		Yes		RTK		3D		1.2		2876		1.05		0.591		0.472		2.409				WME		Water Meter

		UP2917		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2917		8/21/25 11:40		3725'53.3397"N		796'54.4027"W		69.795		468200.107		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		2		9		7.58		-0.438		9.78		Yes		8/21/25 11:40		RTK		28		1.21		0.62		1.04		8410		-1339		Yes		RTK		3D		1.2		2876		1.27		0.85		0.551		3.057				WME		Water Meter

		UP2918		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2918		8/21/25 11:43		3725'53.5978"N		796'53.4698"W		79.584		468279.692		0		UNKNOWN		24		32768		CLASSIC		OMNI PEAK		140		100		100		9		11		12.425		2.199		-10.521		Yes		8/21/25 11:43		RTK		28		1.12		0.59		0.95		8380		-1339		Yes		RTK		3D		1		2876		0.759		0.512		0.394		1.83				WME		Water Meter

		UP2919		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2919		8/21/25 11:43		3725'53.8056"N		796'53.0935"W		36.92		468316.612		0		UNKNOWN		20		32768		CLASSIC		OMNI PEAK		140		100		100		2		9		11.966		-0.069		-49.514		Yes		8/21/25 11:43		RTK		28		1.12		0.59		0.95		8405		-1339		Yes		RTK		3D		2		2876		1.388		1.157		0.63		3.615				WME		Water Meter

		UP2920		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2920		8/21/25 11:43		3725'54.0595"N		796'52.4512"W		57.801		468374.413		0		UNKNOWN		23		32768		CLASSIC		OMNI PEAK		140		100		100		-1		8		13.392		0.999		7.973		Yes		8/21/25 11:43		RTK		29		1.1		0.58		0.94		8423		-1339		Yes		RTK		3D		1		2876		0.85		0.551		0.433		2.027				WME		Water Meter

		UP2921		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2921		8/21/25 11:44		3725'54.4252"N		796'51.6189"W		76.63		468451.043		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		-7		13		10.774		2.568		25.381		Yes		8/21/25 11:44		RTK		27		1.1		0.58		0.94		8445		-1339		Yes		RTK		3D		1.2		2876		0.591		0.472		0.394		1.513				WME		Water Meter

		UP2922		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2922		8/21/25 11:45		3725'55.0196"N		796'50.2641"W		124.693		468575.736		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		21.293		100		0		9		8.677		0.343		-26.36		Yes		8/21/25 11:45		RTK		29		1.1		0.57		0.94		8466		-1339		Yes		RTK		3D		0.6		2876		0.85		0.591		0.472		2.071				WME		Water Meter

		UP2923		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2923		8/21/25 11:45		3725'55.0533"N		796'50.0532"W		17.329		468593.065		0		UNKNOWN		172		32768		CLASSIC		OMNI PEAK		140		26.439		100		-93		8		11.099		-0.163		-71.555		Yes		8/21/25 11:45		RTK		28		1.1		0.57		0.94		8467		-1339		Yes		RTK		3D		1.4		2876		1.05		0.672		0.472		2.493				WME		Water Meter

		UP2924		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2924		8/21/25 11:45		3725'55.2619"N		796'49.0339"W		84.804		468677.869		0		UNKNOWN		21		32768		CLASSIC		OMNI PEAK		140		89.284		100		0		7		8.389		4.4		5.668		Yes		8/21/25 11:45		RTK		29		1.1		0.57		0.94		8462		-1339		Yes		RTK		3D		1.2		2876		0.948		0.672		0.472		2.323				WME		Water Meter

		UP2925		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2925		8/21/25 11:45		3725'55.4149"N		796'48.8968"W		19.041		468696.909		0		UNKNOWN		5		32768		CLASSIC		OMNI PEAK		140		100		100		0		11		8.785		-0.911		75.576		Yes		8/21/25 11:46		RTK		29		1.1		0.57		0.94		8468		-1339		Yes		RTK		3D		1		2876		1.388		1.157		0.63		3.615				WME		Water Meter

		UP2926		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2926		8/21/25 11:46		3725'55.9194"N		796'49.0023"W		51.892		468748.801		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		5		8		12.687		-2.361		-6.985		Yes		8/21/25 11:46		RTK		29		1.1		0.57		0.94		8482		-1339		Yes		RTK		3D		0.6		2876		0.672		0.551		0.433		1.738				WME		Water Meter

		UP2927		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2927		8/21/25 11:46		3725'56.1500"N		796'49.4357"W		42.019		468790.82		0		UNKNOWN		101		32768		CLASSIC		OMNI PEAK		140		45.889		100		-14		8		8.246		0.603		16.846		Yes		8/21/25 11:46		RTK		28		1.18		0.59		1.02		8496		-1339		Yes		RTK		3D		0.6		2876		0.759		0.591		0.472		1.923				WME		Water Meter

		UP2928		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2928		8/21/25 11:47		3725'55.5405"N		796'50.5949"W		112		468902.82		0		UNKNOWN		16		32768		CLASSIC		OMNI PEAK		140		100		100		0		9		11.703		-4.524		6.275		Yes		8/21/25 11:47		RTK		28		1.14		0.59		0.97		8501		-1339		Yes		RTK		3D		0.6		2876		0.551		0.433		0.394		1.402				WME		Water Meter

		UP2929		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2929		8/21/25 11:47		3725'55.5142"N		796'50.6935"W		8.378		468911.198		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		0		13		13.121		-5.933		53.591		Yes		8/21/25 11:47		RTK		28		1.14		0.59		0.97		8512		-1339		Yes		RTK		3D		0.6		2876		0.948		0.512		0.433		2.154				WME		Water Meter

		UP2930		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2930		8/21/25 11:48		3725'54.8028"N		796'52.1969"W		140.985		469052.183		0		UNKNOWN		5		32768		CLASSIC		OMNI PEAK		140		100		100		0		12		6.307		-1.861		-6.344		Yes		8/21/25 11:48		RTK		28		1.11		0.57		0.95		8479		-1339		Yes		RTK		3D		1.6		2876		1.512		0.85		0.591		3.469				WME		Water Meter

		UP2931		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2931		8/21/25 11:48		3725'54.5621"N		796'52.8651"W		59.112		469111.295		0		UNKNOWN		8		32768		CLASSIC		OMNI PEAK		140		100		100		-5		7		3.117		-6.458		-39.745		Yes		8/21/25 11:48		RTK		29		1.11		0.57		0.95		8477		-1339		Yes		RTK		3D		1		2876		0.948		0.591		0.512		2.233				WME		Water Meter

		UP2932		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2932		8/21/25 11:48		3725'54.3755"N		796'53.2337"W		35.214		469146.509		0		UNKNOWN		68		32768		CLASSIC		OMNI PEAK		140		51.524		100		-1		7		10.107		-1.787		37.227		Yes		8/21/25 11:48		RTK		29		1.11		0.57		0.95		8456		-1339		Yes		RTK		3D		1		2876		0.759		0.672		0.512		2.027				WME		Water Meter

		UP2933		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2933		8/21/25 11:49		3725'53.9432"N		796'54.3734"W		101.753		469248.262		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		15.756		100		13		11		13.849		-4.035		24.286		Yes		8/21/25 11:49		RTK		29		1.19		0.59		1.03		8458		-1339		Yes		RTK		3D		1.4		2876		0.85		0.672		0.472		2.168				WME		Water Meter

		UP2934		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2934		8/21/25 11:51		3725'53.9384"N		796'55.5576"W		95.398		469343.66		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		26.165		100		10		12		11.237		-5.284		86.604		Yes		8/21/25 11:51		RTK		29		1.11		0.57		0.95		8554		-1339		Yes		RTK		3D		1.2		2876		0.948		0.672		0.472		2.323				WME		Water Meter

		UP2935		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2935		8/22/25 7:27		3725'53.9375"N		796'55.5583"W		0.113		469343.772		0		UNKNOWN		122		32768		CLASSIC		OMNI PEAK		140		29.476		100		129		10		8.222		0.946		-35.345		Yes		8/22/25 7:27		RTK		26		1.3		0.61		1.15		8550		-1339		Yes		RTK		3D		1		3824		0.512		0.394		0.394		1.291				WME		Water Meter

		UP2936		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2936		8/22/25 7:29		3725'56.2399"N		796'55.7366"W		234.025		469577.798		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		32.313		100		39		9		11.618		3.678		-50.221		Yes		8/22/25 7:29		RTK		32		1.06		0.53		0.91		8896		-1339		Yes		RTK		3D		1.6		3824		0.759		0.551		0.551		1.875				WME		Water Meter

		UP2937		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2937		8/22/25 7:29		3725'56.6433"N		796'54.7323"W		90.668		469668.466		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		22.77		100		-2		13		4.929		-0.789		-56.033		Yes		8/22/25 7:29		RTK		32		1.06		0.53		0.91		8937		-1339		Yes		RTK		3D		1.4		3824		0.366		0.28		0.394		0.921				WME		Water Meter

		UP2938		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2938		8/22/25 7:30		3725'56.7096"N		796'54.5485"W		16.269		469684.735		0		UNKNOWN		11		32768		CLASSIC		OMNI PEAK		140		100		100		-2		9		11.8		5.919		-24.193		Yes		8/22/25 7:30		RTK		32		1.06		0.53		0.91		8941		-1339		Yes		RTK		3D		0.8		3824		0.512		0.433		0.433		1.341				WME		Water Meter

		UP2939		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2939		8/22/25 7:30		3725'57.2948"N		796'53.1832"W		124.982		469809.717		0		UNKNOWN		952		32768		CLASSIC		OMNI PEAK		140		100		100		3		11		6.71		1.174		27.419		Yes		8/22/25 7:30		RTK		32		1.01		0.5		0.87		8926		-1339		Yes		RTK		3D		1.2		3824		0.512		0.358		0.394		1.249				WME		Water Meter

		UP2940		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2940		8/22/25 7:31		3725'57.4044"N		796'52.9256"W		23.542		469833.259		0		UNKNOWN		8		32768		CLASSIC		OMNI PEAK		140		100		100		1		7		8.378		0.697		58.985		Yes		8/22/25 7:31		RTK		32		1.06		0.53		0.91		8903		-1339		Yes		RTK		3D		0.6		3824		0.85		0.512		0.472		1.985				WME		Water Meter

		UP2941		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2941		8/22/25 7:31		3725'57.7627"N		796'52.1426"W		72.807		469906.066		0		UNKNOWN		121		32768		CLASSIC		OMNI PEAK		140		26.253		100		17		7		8.705		0.633		77.507		Yes		8/22/25 7:31		RTK		32		1.02		0.5		0.88		8886		-1339		Yes		RTK		3D		0.8		3824		0.472		0.394		0.394		1.23				WME		Water Meter

		UP2942		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2942		8/22/25 7:32		3725'58.3950"N		796'51.2929"W		93.803		469999.869		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		19.182		100		-1		10		12.573		1.903		11.95		Yes		8/22/25 7:32		RTK		32		1.05		0.53		0.91		8864		-1339		Yes		RTK		3D		1.4		3824		0.591		0.358		0.394		1.381				WME		Water Meter

		UP2943		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2943		8/22/25 7:32		3725'58.9526"N		796'50.8157"W		68.396		470068.266		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		140		100		100		-2		11		13.104		0.086		17.806		Yes		8/22/25 7:32		RTK		32		1.05		0.53		0.91		8852		-1339		Yes		RTK		3D		0.8		3824		0.512		0.394		0.394		1.291				WME		Water Meter

		UP2944		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2944		8/22/25 7:37		3726'1.9273"N		796'48.7956"W		342.865		470411.131		0		UNKNOWN		49		32768		CLASSIC		OMNI PEAK		140		86.288		100		-6		12		14.417		-3.378		29.196		Yes		8/22/25 7:37		RTK		32		1		0.5		0.87		8861		-1339		Yes		RTK		3D		1.4		3824		0.433		0.315		0.394		1.071				WME		Water Meter

		UP2945		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2945		8/22/25 7:37		3726'1.8513"N		796'48.6070"W		17.041		470428.172		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		49.296		100		55		9		12.338		0.84		-51.586		Yes		8/22/25 7:37		RTK		32		1.04		0.54		0.89		8836		-1339		Yes		RTK		3D		1.2		3824		0.472		0.319		0.394		1.14				WME		Water Meter

		UP2946		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2946		8/22/25 7:37		3726'1.4001"N		796'47.2356"W		119.579		470547.751		0		UNKNOWN		26		32768		CLASSIC		OMNI PEAK		140		75.057		100		0		10		8.964		2.691		81.015		Yes		8/22/25 7:37		RTK		32		1.03		0.52		0.89		8697		-1339		Yes		RTK		3D		1.6		3824		0.551		0.433		0.394		1.402				WME		Water Meter

		UP2947		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2947		8/22/25 7:38		3726'1.1647"N		796'46.4021"W		71.272		470619.023		0		UNKNOWN		22		32768		CLASSIC		OMNI PEAK		140		100		100		-2		7		7.967		5.726		67.081		Yes		8/22/25 7:38		RTK		32		1.02		0.51		0.88		8623		-1339		Yes		RTK		3D		1		3824		0.512		0.378		0.394		1.272				WME		Water Meter

		UP2948		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2948		8/22/25 7:38		3726'0.8091"N		796'45.5861"W		74.986		470694.008		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		100		100		7		7		9.875		0.962		25.853		Yes		8/22/25 7:38		RTK		32		1.02		0.51		0.88		8540		-1339		Yes		RTK		3D		1.6		3824		0.433		0.299		0.394		1.053				WME		Water Meter

		UP2949		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2949		8/22/25 7:39		3726'0.5931"N		796'44.7430"W		71.357		470765.366		0		UNKNOWN		49		32768		CLASSIC		OMNI PEAK		140		98.439		100		-6		10		8.712		4.225		11.454		Yes		8/22/25 7:39		RTK		32		1.11		0.6		0.94		8428		-1339		Yes		RTK		3D		1.4		3824		0.759		0.433		0.433		1.747				WME		Water Meter

		UP2950		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2950		8/22/25 7:40		3725'59.4248"N		796'44.3174"W		123.384		470888.749		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		0		11		12.414		-0.391		-19.987		Yes		8/22/25 7:40		RTK		32		0.97		0.5		0.84		8252		-1339		Yes		RTK		3D		1.2		3824		0.472		0.339		0.394		1.162				WME		Water Meter

		UP2951		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2951		8/22/25 7:40		3725'59.4112"N		796'44.2961"W		2.2		470890.949		0		UNKNOWN		72		32768		CLASSIC		OMNI PEAK		140		81.288		100		1		9		5.274		-1.297		61.817		Yes		8/22/25 7:40		RTK		32		1		0.51		0.86		8252		-1339		Yes		RTK		3D		2.4		3824		0.672		0.433		0.472		1.599				WME		Water Meter

		UP2952		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2952		8/22/25 7:41		3726'0.1348"N		796'45.7354"W		137.231		471028.18		0		UNKNOWN		46		32768		CLASSIC		OMNI PEAK		140		77.773		100		0		11		6.526		2.438		-13.154		Yes		8/22/25 7:41		RTK		32		0.99		0.5		0.85		8485		-1339		Yes		RTK		3D		0.6		3824		0.551		0.472		0.394		1.452				WME		Water Meter

		UP2953		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2953		8/22/25 7:41		3726'0.4804"N		796'46.3020"W		57.557		471085.737		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		47.337		100		-6		9		10.789		1.341		11.35		Yes		8/22/25 7:41		RTK		32		1		0.51		0.86		8544		-1339		Yes		RTK		3D		1.2		3824		0.512		0.386		0.394		1.282				WME		Water Meter

		UP2954		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2954		8/22/25 7:41		3726'0.6341"N		796'46.6770"W		34		471119.736		0		UNKNOWN		286		32768		CLASSIC		OMNI PEAK		140		66.566		100		0		9		11.199		1.087		72.917		Yes		8/22/25 7:41		RTK		32		0.99		0.5		0.85		8596		-1339		Yes		RTK		3D		1		3824		0.378		0.303		0.394		0.969				WME		Water Meter

		UP2955		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2955		8/22/25 7:42		3726'0.9527"N		796'47.5056"W		74.162		471193.898		0		UNKNOWN		32		32768		CLASSIC		OMNI PEAK		140		100		100		0		12		17.651		-7.22		-21.56		Yes		8/22/25 7:42		RTK		32		1		0.51		0.86		8702		-1339		Yes		RTK		3D		1.4		3824		0.591		0.343		0.394		1.365				WME		Water Meter

		UP2956		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2956		8/22/25 7:42		3726'1.0330"N		796'47.8037"W		25.358		471219.256		0		UNKNOWN		25		32768		CLASSIC		OMNI PEAK		140		100		100		0		13		11.682		-3.699		-81.768		Yes		8/22/25 7:42		RTK		32		1.06		0.53		0.92		8749		-1339		Yes		RTK		3D		1		3824		1.157		0.85		0.591		2.873				WME		Water Meter

		UP2957		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2957		8/22/25 7:46		3726'3.6394"N		796'46.4843"W		284.98		471504.236		0		UNKNOWN		18		32768		CLASSIC		OMNI PEAK		140		75.344		100		2		10		7.94		5.463		-52.726		Yes		8/22/25 7:46		RTK		32		0.98		0.5		0.85		8702		-1339		Yes		RTK		3D		1.6		3824		0.551		0.433		0.394		1.402				WME		Water Meter

		UP2958		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2958		8/22/25 7:46		3726'4.3358"N		796'46.5314"W		70.755		471574.991		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		-2		12		12.891		0.713		38.281		Yes		8/22/25 7:46		RTK		32		0.98		0.5		0.85		8700		-1339		Yes		RTK		3D		1.4		3824		0.472		0.307		0.394		1.127				WME		Water Meter

		UP2959		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2959		8/22/25 7:47		3726'4.8432"N		796'47.3432"W		83.226		471658.217		0		UNKNOWN		13		32768		CLASSIC		OMNI PEAK		140		77.656		100		4		10		10.545		-0.552		-9.496		Yes		8/22/25 7:47		RTK		32		1.05		0.53		0.9		8780		-1339		Yes		RTK		3D		1		3824		0.759		0.472		0.472		1.787				WME		Water Meter

		UP2960		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2960		8/22/25 7:49		3726'6.1396"N		796'48.0845"W		144.444		471802.661		0		UNKNOWN		79		32768		CLASSIC		OMNI PEAK		140		100		100		3		7		9.545		-0.191		89.396		Yes		8/22/25 7:49		RTK		32		0.98		0.5		0.84		8837		-1339		Yes		RTK		3D		0.8		3824		0.512		0.362		0.394		1.254				WME		Water Meter

		UP2961		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2961		8/22/25 7:49		3726'6.8504"N		796'48.4504"W		77.896		471880.557		0		UNKNOWN		24		32768		CLASSIC		OMNI PEAK		140		100		100		-1		7		10.953		1.652		50.429		Yes		8/22/25 7:49		RTK		32		1.01		0.52		0.86		8848		-1339		Yes		RTK		3D		0.8		3824		0.759		0.472		0.433		1.787				WME		Water Meter

		UP2962		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2962		8/22/25 7:49		3726'6.5262"N		796'48.9997"W		55.131		471935.689		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		61.731		100		-3		12		16.451		-0.912		25.128		Yes		8/22/25 7:49		RTK		32		0.98		0.5		0.84		8906		-1339		Yes		RTK		3D		1.2		3824		0.759		0.472		0.433		1.787				WME		Water Meter

		UP2963		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2963		8/22/25 7:50		3726'7.5824"N		796'50.0304"W		135.557		472071.246		0		UNKNOWN		29		32768		CLASSIC		OMNI PEAK		140		100		100		2		7		10.943		0.869		58.478		Yes		8/22/25 7:50		RTK		32		0.98		0.5		0.84		9041		-1339		Yes		RTK		3D		1.6		3824		0.759		0.472		0.433		1.787				WME		Water Meter

		UP2964		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2964		8/22/25 7:50		3726'7.0539"N		796'50.1003"W		53.91		472125.156		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		47.256		100		13		11		12.521		0.915		-61.118		Yes		8/22/25 7:50		RTK		32		0.98		0.5		0.84		9037		-1339		Yes		RTK		3D		1.4		3824		0.472		0.331		0.394		1.153				WME		Water Meter

		UP2965		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2965		8/22/25 7:51		3726'7.3979"N		796'50.9364"W		75.859		472201.015		0		UNKNOWN		10		32768		CLASSIC		OMNI PEAK		140		100		100		-9		9		12.418		-3.488		-16.751		Yes		8/22/25 7:51		RTK		32		0.98		0.5		0.84		9140		-1339		Yes		RTK		3D		1		3824		0.551		0.374		0.394		1.332				WME		Water Meter

		UP2966		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2966		8/22/25 7:51		3726'8.1393"N		796'51.1999"W		78.152		472279.167		0		UNKNOWN		22		32768		CLASSIC		OMNI PEAK		140		100		100		-1		5		12.788		2.443		60.099		Yes		8/22/25 7:52		RTK		32		0.98		0.5		0.84		9162		-1339		Yes		RTK		3D		1.8		3824		1.388		0.759		0.63		3.164				WME		Water Meter

		UP2967		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2967		8/22/25 7:52		3726'8.2432"N		796'51.5655"W		31.279		472310.446		0		UNKNOWN		17		32768		CLASSIC		OMNI PEAK		140		100		100		8		10		11.262		0.104		-16.679		Yes		8/22/25 7:52		RTK		32		0.98		0.51		0.84		9198		-1339		Yes		RTK		3D		1		3824		0.948		0.591		0.551		2.233				WME		Water Meter

		UP2968		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2968		8/22/25 7:52		3726'7.8761"N		796'51.8743"W		44.796		472355.242		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		1		13		10.143		-0.814		-87.867		Yes		8/22/25 7:52		RTK		32		0.97		0.5		0.84		9250		-1339		Yes		RTK		3D		2		3824		0.512		0.346		0.394		1.236				WME		Water Meter

		UP2969		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2969		8/22/25 7:53		3726'8.3894"N		796'52.9302"W		99.734		472454.975		0		UNKNOWN		307		32768		CLASSIC		OMNI PEAK		140		46.808		100		1		6		13.06		3.102		-5.198		Yes		8/22/25 7:53		RTK		31		0.98		0.51		0.84		9271		-1339		Yes		RTK		3D		1.4		3824		0.759		0.512		0.512		1.83				WME		Water Meter

		UP2970		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2970		8/22/25 7:56		3726'9.5328"N		796'57.6916"W		400.714		472855.689		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		35.737		100		-4		6		14.657		-0.545		-20.547		Yes		8/22/25 7:56		RTK		32		1.02		0.54		0.87		9197		-1339		Yes		RTK		3D		1.4		3824		0.672		0.512		0.512		1.689				WME		Water Meter

		UP2971		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2971		8/22/25 7:57		3726'9.7209"N		796'57.4421"W		27.709		472883.398		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		12.741		100		-12		10		11.914		0.642		33.702		Yes		8/22/25 7:57		RTK		32		0.96		0.5		0.83		9220		-1339		Yes		RTK		3D		0.8		3824		0.85		0.472		0.394		1.946				WME		Water Meter

		UP2972		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2972		8/22/25 7:57		3726'10.6376"N		796'56.0737"W		144.226		473027.625		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		140		100		100		-4		7		14.961		0.457		-26.129		Yes		8/22/25 7:57		RTK		32		0.96		0.5		0.82		9287		-1339		Yes		RTK		3D		1.4		3824		0.672		0.472		0.433		1.643				WME		Water Meter

		UP2973		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2973		8/22/25 7:58		3726'11.7798"N		796'54.3987"W		177.858		473205.482		0		UNKNOWN		15		32768		CLASSIC		OMNI PEAK		140		68.221		100		1		13		6.539		1.635		-69.855		Yes		8/22/25 7:58		RTK		32		1.04		0.55		0.88		9282		-1339		Yes		RTK		3D		1.4		3824		1.64		0.672		0.591		3.545				WME		Water Meter

		UP2974		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2974		8/22/25 7:59		3726'12.6227"N		796'53.8285"W		97.069		473302.552		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		31.573		100		-11		9		19.272		-4.946		-26.94		Yes		8/22/25 7:59		RTK		32		1.01		0.54		0.86		9287		-1339		Yes		RTK		3D		1.2		3824		1.388		0.591		0.551		3.018				WME		Water Meter

		UP2975		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2975		8/22/25 7:59		3726'12.4877"N		796'53.0525"W		63.988		473366.54		0		UNKNOWN		28		32768		CLASSIC		OMNI PEAK		140		100		100		39		9		4.338		3.493		75.876		Yes		8/22/25 7:59		RTK		32		1.01		0.54		0.86		9255		-1339		Yes		RTK		3D		1.2		3824		0.672		0.512		0.394		1.689				WME		Water Meter

		UP2976		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2976		8/22/25 8:00		3726'13.1792"N		796'52.4521"W		85.214		473451.754		0		UNKNOWN		65		32768		CLASSIC		OMNI PEAK		140		100		100		0		11		12.19		1.939		-21.401		Yes		8/22/25 8:00		RTK		32		1.01		0.54		0.86		9264		-1339		Yes		RTK		3D		1.6		3824		0.85		0.512		0.512		1.985				WME		Water Meter

		UP2977		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2977		8/22/25 8:00		3726'12.7951"N		796'51.8709"W		60.919		473512.674		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		140		100		100		1		9		9.414		-0.899		48.833		Yes		8/22/25 8:00		RTK		32		1.06		0.57		0.9		9227		-1339		Yes		RTK		3D		1.2		3824		0.551		0.433		0.394		1.402				WME		Water Meter

		UP2978		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2978		8/22/25 8:00		3726'13.4143"N		796'51.7040"W		64.248		473576.922		0		UNKNOWN		21		32768		CLASSIC		OMNI PEAK		140		100		100		1		11		11.779		3.291		-33.104		Yes		8/22/25 8:00		RTK		32		1.06		0.57		0.9		9228		-1339		Yes		RTK		3D		1.4		3824		1.388		0.591		0.551		3.018				WME		Water Meter

		UP2979		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2979		8/22/25 8:01		3726'13.3012"N		796'50.7917"W		74.379		473651.301		0		UNKNOWN		20		32768		CLASSIC		OMNI PEAK		140		100		100		2		8		9.109		-2.944		-76.381		Yes		8/22/25 8:01		RTK		32		1.01		0.54		0.85		9212		-1339		Yes		RTK		3D		1.2		3824		1.157		0.551		0.512		2.564				WME		Water Meter

		UP2980		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2980		8/22/25 8:01		3726'14.0191"N		796'50.1827"W		87.81		473739.111		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		140		100		100		-1		10		11.411		1.782		50.916		Yes		8/22/25 8:01		RTK		32		1.06		0.57		0.89		9198		-1339		Yes		RTK		3D		1.2		3824		0.512		0.311		0.394		1.198				WME		Water Meter

		UP2981		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2981		8/22/25 8:02		3726'13.7282"N		796'49.5858"W		56.415		473795.526		0		UNKNOWN		120		32768		CLASSIC		OMNI PEAK		140		88.704		100		10		6		10.041		0.764		-67.458		Yes		8/22/25 8:02		RTK		32		1.06		0.57		0.89		9185		-1339		Yes		RTK		3D		1		3824		0.948		0.433		0.433		2.084				WME		Water Meter

		UP2982		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2982		8/22/25 8:02		3726'14.3168"N		796'49.4517"W		60.678		473856.203		0		UNKNOWN		43		32768		CLASSIC		OMNI PEAK		140		66.244		100		2		10		9.299		1.236		5.294		Yes		8/22/25 8:02		RTK		32		1.06		0.57		0.89		9188		-1339		Yes		RTK		3D		1		3824		1.512		0.591		0.551		3.246				WME		Water Meter

		UP2983		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2983		8/22/25 8:02		3726'13.7472"N		796'48.9021"W		72.793		473928.997		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		42.958		100		3		11		11.966		0.376		37.353		Yes		8/22/25 8:03		RTK		32		1.06		0.58		0.89		9160		-1339		Yes		RTK		3D		1.4		3824		0.672		0.472		0.394		1.643				WME		Water Meter

		UP2984		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2984		8/22/25 8:03		3726'13.9704"N		796'48.3407"W		50.578		473979.575		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		18.482		100		3		11		10.622		0.986		31.848		Yes		8/22/25 8:03		RTK		32		1.06		0.58		0.89		9145		-1339		Yes		RTK		3D		1.2		3824		0.591		0.394		0.394		1.42				WME		Water Meter

		UP2985		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2985		8/22/25 8:03		3726'14.3876"N		796'48.3014"W		42.447		474022.022		0		UNKNOWN		15		32768		CLASSIC		OMNI PEAK		140		100		100		21		9		13.189		1.88		-39.182		Yes		8/22/25 8:03		RTK		32		1.05		0.57		0.89		9146		-1339		Yes		RTK		3D		1.4		3824		0.672		0.394		0.394		1.558				WME		Water Meter

		UP2986		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2986		8/22/25 8:03		3726'14.7438"N		796'48.7490"W		51.052		474073.075		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		11.162		100		3		11		14.208		-5.011		-30.543		Yes		8/22/25 8:03		RTK		32		1.05		0.57		0.89		9160		-1339		Yes		RTK		3D		1.4		3824		0.948		0.551		0.472		2.192				WME		Water Meter

		UP2987		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2987		8/22/25 8:07		3726'13.6455"N		796'55.6169"W		564.345		474637.42		0		UNKNOWN		7		32768		CLASSIC		OMNI PEAK		140		100		100		6		8		9.676		1.629		-56.286		Yes		8/22/25 8:07		RTK		32		0.98		0.51		0.84		9395		-1339		Yes		RTK		3D		0.8		3824		0.591		0.394		0.394		1.42				WME		Water Meter

		UP2988		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2988		8/22/25 8:08		3726'14.5405"N		796'56.5938"W		120.15		474757.569		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		15.376		100		15		9		11.008		-1.583		33.971		Yes		8/22/25 8:08		RTK		32		0.97		0.5		0.84		9426		-1339		Yes		RTK		3D		1.2		3824		0.591		0.472		0.394		1.513				WME		Water Meter

		UP2989		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2989		8/22/25 8:08		3726'14.2325"N		796'56.9821"W		44.212		474801.782		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		19.803		100		1		9		10.621		3.316		28.482		Yes		8/22/25 8:08		RTK		32		1.02		0.51		0.88		9433		-1339		Yes		RTK		3D		1.4		3824		0.672		0.472		0.433		1.643				WME		Water Meter

		UP2990		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2990		8/22/25 8:09		3726'15.1069"N		796'57.9063"W		115.811		474917.593		0		UNKNOWN		56		32768		CLASSIC		OMNI PEAK		140		70.28		100		0		10		9.358		-1.066		-46.132		Yes		8/22/25 8:09		RTK		32		0.97		0.5		0.83		9431		-1339		Yes		RTK		3D		1		3824		0.948		0.591		0.551		2.233				WME		Water Meter

		UP2991		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2991		8/22/25 8:09		3726'15.6291"N		796'57.8021"W		53.636		474971.229		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		36.107		100		-15		11		8.69		2.372		60.178		Yes		8/22/25 8:10		RTK		32		0.97		0.5		0.83		9445		-1339		Yes		RTK		3D		1		3824		1.512		0.759		0.63		3.383				WME		Water Meter

		UP2992		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2992		8/22/25 8:16		3726'16.7163"N		796'58.9889"W		145.957		475117.186		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		2.03		100		38		3		8.746		1.602		54.234		Yes		8/22/25 8:16		RTK		32		0.98		0.5		0.84		9460		-1339		Yes		RTK		3D		1.6		3824		0.512		0.394		0.394		1.291				WME		Water Meter

		UP2993		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2993		8/22/25 8:17		3726'16.6839"N		796'59.6808"W		55.835		475173.021		0		UNKNOWN		26		32768		CLASSIC		OMNI PEAK		140		100		100		-1		2		8.551		-2.507		29.504		Yes		8/22/25 8:17		RTK		32		1.02		0.5		0.89		9449		-1339		Yes		RTK		3D		1.4		3824		0.672		0.551		0.472		1.738				WME		Water Meter

		UP2994		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2994		8/22/25 8:17		3726'17.0658"N		796'59.2907"W		49.887		475222.908		0		UNKNOWN		21		32768		CLASSIC		OMNI PEAK		140		100		100		0		6		6.84		1.491		17.082		Yes		8/22/25 8:17		RTK		32		1.01		0.51		0.87		9474		-1339		Yes		RTK		3D		1		3824		0.85		0.512		0.591		1.985				WME		Water Meter

		UP2995		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2995		8/22/25 8:18		3726'17.8766"N		797'0.2000"W		110.138		475333.046		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		100		100		-2		12		11.786		-0.54		-35.508		Yes		8/22/25 8:18		RTK		31		1.01		0.51		0.87		9500		-1339		Yes		RTK		3D		1.6		3824		0.591		0.472		0.472		1.513				WME		Water Meter

		UP2996		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2996		8/22/25 8:18		3726'18.2535"N		797'0.5973"W		49.865		475382.911		0		UNKNOWN		10		32768		CLASSIC		OMNI PEAK		140		62.144		100		9		9		16.223		-5.796		-17.009		Yes		8/22/25 8:18		RTK		32		0.97		0.49		0.83		9505		-1339		Yes		RTK		3D		0.8		3824		0.512		0.382		0.394		1.277				WME		Water Meter

		UP2997		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2997		8/22/25 8:21		3726'19.1907"N		797'1.6857"W		129.332		475512.243		0		UNKNOWN		45		32768		CLASSIC		OMNI PEAK		140		75.621		100		-9		10		16.089		1.029		37.142		Yes		8/22/25 8:21		RTK		32		1		0.51		0.87		9516		-1339		Yes		RTK		3D		0.6		3824		0.591		0.394		0.433		1.42				WME		Water Meter

		UP2998		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2998		8/22/25 8:22		3726'19.0945"N		797'2.4502"W		62.357		475574.599		0		UNKNOWN		26		32768		CLASSIC		OMNI PEAK		140		100		100		-3		13		6.361		0.573		-53.463		Yes		8/22/25 8:22		RTK		32		1		0.52		0.86		9513		-1339		Yes		RTK		3D		1		3824		0.672		0.512		0.551		1.689				WME		Water Meter

		UP2999		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		2999		8/22/25 8:22		3726'19.5901"N		797'3.1723"W		76.882		475651.481		0		UNKNOWN		23		32768		CLASSIC		OMNI PEAK		140		100		100		-1		9		9.348		0.84		45.078		Yes		8/22/25 8:22		RTK		32		1.02		0.52		0.88		9535		-1339		Yes		RTK		3D		1.4		3824		1.157		0.759		0.709		2.768				WME		Water Meter

		UP3000		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3000		8/22/25 8:23		3726'20.6075"N		797'4.0294"W		124.179		475775.661		0		UNKNOWN		15		32768		CLASSIC		OMNI PEAK		140		100		100		10		7		8.159		-4.106		27.782		Yes		8/22/25 8:23		RTK		32		1.02		0.53		0.88		9582		-1339		Yes		RTK		3D		1.2		3824		0.591		0.433		0.472		1.465				WME		Water Meter

		UP3001		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3001		8/22/25 8:23		3726'20.3392"N		797'4.4477"W		43.315		475818.976		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		-3		6		10.619		-0.102		1.99		Yes		8/22/25 8:23		RTK		32		1.05		0.54		0.9		9570		-1339		Yes		RTK		3D		0.8		3824		1.157		0.948		0.748		2.992				WME		Water Meter

		UP3002		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3002		8/22/25 8:24		3726'20.9913"N		797'4.5290"W		66.475		475885.45		0		UNKNOWN		48		32768		CLASSIC		OMNI PEAK		140		65.969		100		1		10		6.753		2.988		-39.805		Yes		8/22/25 8:24		RTK		32		1.05		0.54		0.9		9576		-1339		Yes		RTK		3D		1.6		3824		0.591		0.433		0.433		1.465				WME		Water Meter

		UP3003		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3003		8/22/25 8:24		3726'20.5453"N		797'4.9897"W		58.519		475943.97		0		UNKNOWN		52		32768		CLASSIC		OMNI PEAK		140		67.144		100		-16		6		9.426		6.129		78.298		Yes		8/22/25 8:24		RTK		32		0.96		0.5		0.82		9545		-1339		Yes		RTK		3D		1.4		3824		0.591		0.472		0.472		1.513				WME		Water Meter

		UP3004		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3004		8/22/25 8:29		3726'17.4813"N		797'1.1125"W		440.639		476384.609		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		100		100		4		11		10.519		1.46		38.806		Yes		8/22/25 8:29		RTK		32		0.95		0.5		0.81		9471		-1339		Yes		RTK		3D		1		3845		0.759		0.472		0.394		1.787				WME		Water Meter

		UP3005		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3005		8/22/25 8:30		3726'16.5684"N		797'2.3371"W		135.307		476519.916		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		75.796		100		1		11		8.844		-0.458		18.935		Yes		8/22/25 8:30		RTK		32		1.06		0.54		0.91		9406		-1339		Yes		RTK		3D		0.8		3845		0.672		0.551		0.551		1.738				WME		Water Meter

		UP3006		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3006		8/22/25 8:30		3726'15.8849"N		797'3.3091"W		104.592		476624.508		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		96.255		100		2		11		11.751		2.399		10.229		Yes		8/22/25 8:30		RTK		32		0.95		0.5		0.81		9303		-1339		Yes		RTK		3D		1.4		3845		0.759		0.551		0.591		1.875				WME		Water Meter

		UP3007		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3007		8/22/25 8:31		3726'15.7008"N		797'2.7105"W		51.705		476676.213		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		54.261		100		-12		10		10.921		4.916		70.297		Yes		8/22/25 8:31		RTK		32		1		0.52		0.86		9338		-1339		Yes		RTK		3D		1		3845		0.394		0.315		0.394		1.008				WME		Water Meter

		UP3008		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3008		8/22/25 8:31		3726'15.2219"N		797'3.4483"W		76.761		476752.974		0		UNKNOWN		108		32768		CLASSIC		OMNI PEAK		140		86.238		100		0		12		12.897		1.669		52.757		Yes		8/22/25 8:31		RTK		32		1		0.52		0.86		9251		-1339		Yes		RTK		3D		0.6		3849		2.058		1.388		0.984		4.965				WME		Water Meter

		UP3009		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3009		8/22/25 8:31		3726'15.5460"N		797'3.8497"W		46.115		476799.089		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		0		13		5.217		-1.795		57.845		Yes		8/22/25 8:32		RTK		32		1		0.52		0.86		9232		-1339		Yes		RTK		3D		0.6		3849		2.207		1.27		0.906		5.094				WME		Water Meter

		UP3010		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3010		8/22/25 8:34		3726'14.3556"N		797'5.6286"W		187.4		476986.489		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		46.21		100		-28		10		9.641		-0.193		-22.471		Yes		8/22/25 8:34		RTK		32		1		0.52		0.85		9135		-1339		Yes		RTK		3D		1		3849		0.591		0.433		0.433		1.465				WME		Water Meter

		UP3011		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3011		8/22/25 8:34		3726'14.3425"N		797'5.6396"W		1.594		476988.083		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		100		100		-11		10		10.506		-4.251		10.914		Yes		8/22/25 8:34		RTK		32		1		0.52		0.85		9133		-1339		Yes		RTK		3D		2		3849		0.551		0.433		0.433		1.402				WME		Water Meter

		UP3012		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3012		8/22/25 8:34		3726'14.3378"N		797'5.6538"W		1.243		476989.326		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		140		100		100		1		9		11.402		-5.24		2.307		Yes		8/22/25 8:34		RTK		32		1		0.52		0.85		9132		-1339		Yes		RTK		3D		1.8		3849		0.551		0.433		0.433		1.402				WME		Water Meter

		UP3013		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3013		8/22/25 8:34		3726'14.3237"N		797'5.6586"W		1.474		476990.8		0		UNKNOWN		15		32768		CLASSIC		OMNI PEAK		140		100		100		-11		8		8.411		-2.125		-18.012		Yes		8/22/25 8:34		RTK		32		1		0.52		0.85		9132		-1339		Yes		RTK		3D		6		3849		0.551		0.472		0.433		1.452				WME		Water Meter

		UP3014		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3014		8/22/25 8:34		3726'14.3190"N		797'5.6705"W		1.07		476991.869		0		UNKNOWN		10		32768		CLASSIC		OMNI PEAK		140		97.011		100		-21		12		11.037		-8.681		-20.022		Yes		8/22/25 8:34		RTK		32		1		0.52		0.85		9131		-1339		Yes		RTK		3D		4.6		3849		1.05		0.672		0.63		2.493				WME		Water Meter

		UP3015		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3015		8/22/25 8:34		3726'14.3076"N		797'5.6808"W		1.425		476993.294		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		59.996		100		-1		11		6.172		2.111		-17.007		Yes		8/22/25 8:34		RTK		32		1.07		0.54		0.92		9131		-1339		Yes		RTK		3D		4		3849		1.388		1.05		0.787		3.481				WME		Water Meter

		UP3016		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		3016		8/22/25 8:51		3726'24.7141"N		797'20.1204"W		1570.819		478564.113		0		UNKNOWN		20		32768		CLASSIC		OMNI PEAK		140		33.239		100		1		10		20.044		-8.207		-29.682		Yes		8/22/25 8:51		GPS SPS VALID		31		0.87		0.49		0.71		9359		-1339		Yes		AUTONOMOUS		3D		0		0		95.276		64.961		62.992		230.628				WME		Water Meter

		UP3017		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		3017		8/22/25 8:51		3726'24.6968"N		797'20.1111"W		1.913		478566.026		0		UNKNOWN		7		32768		CLASSIC		OMNI PEAK		140		36.776		100		-2		12		21.331		-1.984		-40.145		Yes		8/22/25 8:51		GPS SPS VALID		31		0.86		0.49		0.71		9389		-1339		Yes		AUTONOMOUS		3D		0		0		82.283		56.299		55.118		199.401				WME		Water Meter

		UP3018		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		3018		8/22/25 8:51		3726'24.6830"N		797'20.1032"W		1.531		478567.557		0		UNKNOWN		114		32768		CLASSIC		OMNI PEAK		140		100		100		-1		10		32.386		0.715		-34.855		Yes		8/22/25 8:51		GPS SPS VALID		31		0.87		0.5		0.71		9401		-1339		Yes		AUTONOMOUS		3D		0		0		64.961		43.307		43.307		156.146				WME		Water Meter

		UP3019		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		3019		8/22/25 8:51		3726'24.6835"N		797'20.0919"W		0.909		478568.466		0		UNKNOWN		17		32768		CLASSIC		OMNI PEAK		140		32.454		100		-8		5		18.057		1.935		-51.288		Yes		8/22/25 8:51		GPS SPS VALID		31		0.92		0.51		0.76		9399		-1339		Yes		AUTONOMOUS		3D		0		0		56.299		39.843		39.37		137.942				WME		Water Meter

		UP3020		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		3020		8/22/25 8:51		3726'24.6833"N		797'20.0995"W		0.607		478569.073		0		UNKNOWN		14		32768		CLASSIC		OMNI PEAK		140		41.541		100		-12		6		27.2		-1.351		-58.519		Yes		8/22/25 8:51		GPS SPS VALID		31		0.91		0.51		0.76		9365		-1339		Yes		AUTONOMOUS		3D		0		0		47.638		33.346		32.677		116.299				WME		Water Meter

		UP3021		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3021		8/22/25 8:51		3726'24.6611"N		797'20.0892"W		2.405		478571.478		0		UNKNOWN		23		32768		CLASSIC		OMNI PEAK		140		73.291		100		-6		6		25.144		0.982		-36.95		Yes		8/22/25 8:51		FLOAT RTK		31		1.03		0.57		0.86		9379		-1339		Yes		FLOAT RTK		3D		2.4		3856		66.26		49.695		7.874		165.65				WME		Water Meter

		UP3022		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3022		8/22/25 8:53		3726'27.0476"N		797'21.7903"W		278.202		478849.68		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		20.716		100		1		12		14.165		1.048		25.188		Yes		8/22/25 8:53		RTK		31		1.03		0.57		0.85		9403		-1339		Yes		RTK		3D		1.6		3856		0.591		0.433		0.433		1.465				WME		Water Meter

		UP3023		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3023		8/22/25 8:54		3726'27.4414"N		797'23.8100"W		167.523		479017.203		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		21.791		100		-1		10		15.391		3.471		-1.237		Yes		8/22/25 8:54		RTK		29		1.1		0.58		0.93		9280		-1339		Yes		RTK		3D		1.2		3856		1.64		0.759		0.63		3.615				WME		Water Meter

		UP3024		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3024		8/22/25 8:57		3726'25.1287"N		797'22.5972"W		254.152		479271.356		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		25.925		100		1		10		13.331		-0.906		80.423		Yes		8/22/25 8:57		FLOAT RTK		28		1.21		0.61		1.05		9164		-1339		Yes		FLOAT RTK		3D		1.4		3856		31.289		23.927		5.512		78.779				WME		Water Meter

		UP3025		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3025		8/22/25 8:57		3726'26.0077"N		797'23.5386"W		117.059		479388.414		0		UNKNOWN		1		32768		CLASSIC		OMNI PEAK		140		100		100		6		12		15.834		2.857		22.082		Yes		8/22/25 8:57		RTK		27		1.24		0.62		1.07		9118		-1339		Yes		RTK		3D		0.6		3856		0.85		0.591		0.669		2.071				WME		Water Meter

		UP3026		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3026		8/22/25 8:58		3726'25.6635"N		797'24.1039"W		57.38		479445.794		0		UNKNOWN		36		32768		CLASSIC		OMNI PEAK		140		69.353		100		3		9		10.296		0.929		15.589		Yes		8/22/25 8:58		RTK		27		1.27		0.63		1.1		9008		-1339		Yes		RTK		3D		1.6		3856		0.591		0.512		0.669		1.563				WME		Water Meter

		UP3027		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3027		8/22/25 9:00		3726'26.1778"N		797'25.6649"W		136.129		479581.923		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		59.11		100		-6		6		10.082		-0.704		28.466		Yes		8/22/25 9:00		FLOAT RTK		29		1.24		0.64		1.06		8900		-1339		Yes		FLOAT RTK		3D		1.2		3856		4.969		4.417		1.142		13.298				WME		Water Meter

		UP3028		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3028		8/22/25 9:01		3726'27.2670"N		797'25.1442"W		118.191		479700.115		0		UNKNOWN		259		32768		CLASSIC		OMNI PEAK		140		41.227		100		0		10		15.459		-2.577		-24.811		Yes		8/22/25 9:01		RTK		28		1.32		0.63		1.15		9024		-1339		Yes		RTK		3D		0.8		3856		1.27		0.759		0.906		2.959				WME		Water Meter

		UP3029		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3029		8/22/25 9:02		3726'27.7879"N		797'24.9498"W		55.116		479755.231		0		UNKNOWN		9		32768		CLASSIC		OMNI PEAK		140		100		100		-4		11		12.399		-1.662		-2.481		Yes		8/22/25 9:02		RTK		29		1.19		0.61		1.02		9131		-1339		Yes		RTK		3D		1.4		3856		1.05		0.591		0.63		2.409				WME		Water Meter

		UP3030		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3030		8/22/25 9:02		3726'27.8752"N		797'25.7209"W		62.739		479817.97		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		22.18		100		0		12		10.42		-1.66		-61.89		Yes		8/22/25 9:02		RTK		28		1.18		0.61		1.01		9070		-1339		Yes		RTK		3D		0.6		3856		0.759		0.433		0.551		1.747				WME		Water Meter

		UP3031		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3031		8/22/25 9:04		3726'25.6355"N		797'27.1743"W		255.599		480073.569		0		UNKNOWN		8		32768		CLASSIC		OMNI PEAK		140		100		100		-4		8		9.463		-1.387		19.51		Yes		8/22/25 9:04		FLOAT RTK		30		1.3		0.63		1.13		8890		-1339		Yes		FLOAT RTK		3D		1.4		3856		3.313		2.577		0.63		8.394				WME		Water Meter

		UP3032		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3032		8/22/25 9:04		3726'25.4607"N		797'27.7862"W		52.382		480125.951		0		UNKNOWN		124		32768		CLASSIC		OMNI PEAK		140		96.411		100		-1		12		15.241		-2.139		-50.019		Yes		8/22/25 9:05		RTK		32		1.17		0.61		1		8924		-1339		Yes		RTK		3D		0.8		3856		0.512		0.512		0.551		1.448				WME		Water Meter

		UP3033		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3033		8/22/25 9:05		3726'25.0967"N		797'27.5850"W		40.324		480166.275		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		100		100		-5		8		9.884		-3.712		-12.005		Yes		8/22/25 9:05		RTK		29		1.29		0.64		1.12		8965		-1339		Yes		RTK		3D		0.8		3856		0.433		0.433		0.512		1.225				WME		Water Meter

		UP3034		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3034		8/22/25 9:05		3726'24.5127"N		797'28.5537"W		97.972		480264.247		0		UNKNOWN		7		32768		CLASSIC		OMNI PEAK		140		100		100		-7		9		7.357		-2.034		-77.364		Yes		8/22/25 9:05		FLOAT RTK		31		1.2		0.62		1.02		9094		-1339		Yes		FLOAT RTK		3D		1		3856		6.994		4.417		1.102		16.544				WME		Water Meter

		UP3035		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3035		8/22/25 9:08		3726'28.1437"N		797'26.6952"W		397.627		480661.874		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		15.961		100		0		10		8.795		-1.253		4.601		Yes		8/22/25 9:08		RTK		30		1.27		0.64		1.1		8964		-1339		Yes		RTK		3D		1.4		3856		0.85		0.759		0.748		2.279				WME		Water Meter

		UP3036		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3036		8/22/25 9:09		3726'28.3940"N		797'27.1793"W		46.531		480708.405		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		-1		6		12.324		0.213		-11.196		Yes		8/22/25 9:09		RTK		31		1.32		0.65		1.14		8908		-1339		Yes		RTK		3D		1.4		3856		1.913		1.157		0.906		4.472				WME		Water Meter

		UP3037		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3037		8/22/25 9:10		3726'27.5972"N		797'28.5876"W		139.294		480847.699		0		UNKNOWN		32		32768		CLASSIC		OMNI PEAK		140		57.944		100		0		11		14.338		-1.865		-26.507		Yes		8/22/25 9:10		RTK		30		1.21		0.61		1.04		8894		-1339		Yes		RTK		3D		1.8		3856		2.362		1.774		1.26		5.909				WME		Water Meter

		UP3038		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3038		8/22/25 9:11		3726'27.8483"N		797'29.4844"W		76.595		480924.294		0		UNKNOWN		15		32768		CLASSIC		OMNI PEAK		140		100		100		0		11		8.518		-1.615		-29.085		Yes		8/22/25 9:11		RTK		32		1.2		0.61		1.04		8902		-1339		Yes		RTK		3D		0.6		3856		0.672		0.551		0.63		1.738				WME		Water Meter

		UP3039		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3039		8/22/25 9:15		3726'27.8915"N		797'30.9643"W		119.283		481043.577		0		UNKNOWN		9		32768		CLASSIC		OMNI PEAK		140		100		100		2		8		15.427		-1.043		34.324		Yes		8/22/25 9:15		RTK		30		1.08		0.57		0.92		8751		-1339		Yes		RTK		3D		1.4		3856		1.64		1.05		0.906		3.895				WME		Water Meter

		UP3040		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3040		8/22/25 9:15		3726'28.2194"N		797'30.3908"W		56.928		481100.505		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		20.088		100		-4		12		7.766		-0.518		-21.442		Yes		8/22/25 9:15		RTK		32		1.08		0.57		0.92		8870		-1339		Yes		RTK		3D		1.2		3856		0.472		0.433		0.472		1.282				WME		Water Meter

		UP3041		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3041		8/22/25 9:16		3726'28.4230"N		797'31.8557"W		119.792		481220.297		0		UNKNOWN		50		32768		CLASSIC		OMNI PEAK		140		77.763		100		12		10		13.717		-0.142		-26.847		Yes		8/22/25 9:16		RTK		32		1.13		0.6		0.96		8749		-1339		Yes		RTK		3D		0.8		3856		1.05		0.759		0.827		2.59				WME		Water Meter

		UP3042		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3042		8/22/25 9:17		3726'29.9695"N		797'31.2646"W		163.959		481384.257		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		50.839		100		-5		11		10.661		4.655		26.081		Yes		8/22/25 9:17		RTK		32		1.08		0.57		0.92		8996		-1339		Yes		RTK		3D		1.6		3856		1.512		0.85		0.709		3.469				WME		Water Meter

		UP3043		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3043		8/22/25 9:20		3726'29.1432"N		797'33.2034"W		177.239		481561.496		0		UNKNOWN		5		32768		CLASSIC		OMNI PEAK		140		100		100		2		11		17.846		-0.306		76.969		Yes		8/22/25 9:20		RTK		32		1.08		0.58		0.91		8661		-1339		Yes		RTK		3D		1.4		3856		0.759		0.591		0.591		1.923				WME		Water Meter

		UP3044		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3044		8/22/25 9:21		3726'30.2736"N		797'34.0092"W		131.775		481693.271		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		13.444		100		2		11		29.354		-14.102		-42.966		Yes		8/22/25 9:21		FLOAT RTK		32		1.19		0.62		1.01		8697		-1339		Yes		FLOAT RTK		3D		0.8		3856		3.681		2.761		0.906		9.203				WME		Water Meter

		UP3045		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3045		8/22/25 9:21		3726'30.2651"N		797'34.0200"W		1.226		481694.497		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		-5		12		16.018		-10.743		54.426		Yes		8/22/25 9:21		FLOAT RTK		31		1.11		0.59		0.95		8689		-1339		Yes		FLOAT RTK		3D		1		3856		16.565		14.356		2.717		43.841				WME		Water Meter

		UP3046		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3046		8/22/25 9:21		3726'30.2555"N		797'34.0456"W		2.281		481696.778		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		100		100		-3		7		12.446		-11.926		-0.748		Yes		8/22/25 9:21		RTK		31		1.11		0.59		0.95		8697		-1339		Yes		RTK		3D		6.6		3856		3.034		1.774		0.945		7.03				WME		Water Meter

		UP3047		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3047		8/22/25 9:21		3726'30.2435"N		797'34.0512"W		1.3		481698.077		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		22.745		100		-5		8		13.89		-1.673		-20.258		Yes		8/22/25 9:21		RTK		32		1.11		0.59		0.95		8692		-1339		Yes		RTK		3D		3		3856		1.05		0.85		0.709		2.702				WME		Water Meter

		UP3048		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3048		8/22/25 9:22		3726'30.0153"N		797'34.8648"W		69.502		481767.579		0		UNKNOWN		22		32768		CLASSIC		OMNI PEAK		140		87.825		100		-13		7		6.731		-1.313		-13.004		Yes		8/22/25 9:22		RTK		30		1.11		0.59		0.94		8614		-1339		Yes		RTK		3D		1.2		3856		0.672		0.512		0.591		1.689				WME		Water Meter

		UP3049		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3049		8/22/25 9:23		3726'31.3324"N		797'34.2320"W		143.016		481910.596		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		9		11		7.889		3.216		-52.584		Yes		8/22/25 9:23		RTK		31		1.11		0.59		0.94		8850		-1339		Yes		RTK		3D		0.8		3856		0.472		0.366		0.394		1.195				WME		Water Meter

		UP3050		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3050		8/22/25 9:24		3726'30.7193"N		797'35.2084"W		100.274		482010.87		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		26.882		100		0		13		0.858		0.671		22.523		Yes		8/22/25 9:24		RTK		31		1.07		0.57		0.91		8671		-1339		Yes		RTK		3D		1.2		3856		1.27		0.672		0.669		2.874				WME		Water Meter

		UP3051		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3051		8/22/25 9:32		3725'31.9466"N		797'15.0663"W		0		482010.87		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		29.585		100		30		8		8.956		-1.793		22.052		Yes		8/22/25 9:32		RTK		32		1.01		0.55		0.85		8922		-1339		Yes		RTK		3D		1.6		3856		0.512		0.472		0.433		1.393				WME		Water Meter

		UP3052		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3052		8/22/25 9:37		3725'34.6675"N		796'53.9591"W		1722.778		483733.648		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		140		100		100		-5		10		12.623		2.14		9.4		Yes		8/22/25 9:37		RTK		32		1.05		0.56		0.89		8075		-1339		Yes		RTK		3D		1.2		3856		1.388		1.27		0.709		3.764				WME		Water Meter

		UP3053		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3053		8/22/25 9:37		3725'35.3558"N		796'53.3726"W		84.318		483817.966		0		UNKNOWN		15		32768		CLASSIC		OMNI PEAK		140		100		100		7		9		10.893		-2.315		68.125		Yes		8/22/25 9:37		RTK		32		0.97		0.52		0.81		8186		-1339		Yes		RTK		3D		1.2		3856		0.472		0.433		0.394		1.282				WME		Water Meter

		UP3054		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3054		8/22/25 9:39		3725'35.4757"N		796'49.1039"W		344.126		484162.092		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		34.024		100		-33		9		9.323		1.736		8.816		Yes		8/22/25 9:39		RTK		31		1.02		0.54		0.87		8503		-1339		Yes		RTK		3D		1		3856		0.85		0.551		0.512		2.027				WME		Water Meter

		UP3055		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3055		8/22/25 9:41		3725'37.0699"N		796'47.2876"W		218.103		484380.195		0		UNKNOWN		8		32768		CLASSIC		OMNI PEAK		140		100		100		-4		13		11.968		1.136		-55.597		Yes		8/22/25 9:41		RTK		28		1.02		0.54		0.87		8774		-1339		Yes		RTK		3D		0.8		3856		0.551		0.551		0.433		1.559				WME		Water Meter

		UP3056		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3056		8/22/25 9:41		3725'37.8192"N		796'48.3534"W		114.676		484494.871		0		UNKNOWN		1		32768		CLASSIC		OMNI PEAK		140		100		100		-1		10		6.773		-0.229		-6.125		Yes		8/22/25 9:42		RTK		30		1.02		0.54		0.87		8890		-1339		Yes		RTK		3D		0.6		3856		1.512		1.388		0.787		4.105				WME		Water Meter

		UP3057		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3057		8/22/25 9:42		3725'38.4328"N		796'48.3137"W		62.335		484557.206		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		56.704		100		-5		12		18.755		4.756		31.296		Yes		8/22/25 9:42		RTK		30		1.02		0.54		0.87		8963		-1339		Yes		RTK		3D		1		3856		0.948		0.85		0.63		2.546				WME		Water Meter

		UP3058		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3058		8/22/25 9:46		3725'39.3735"N		796'48.9153"W		107.039		484664.245		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		1		5		11.353		-2.447		-26.807		Yes		8/22/25 9:46		RTK		31		1.02		0.54		0.87		8969		-1339		Yes		RTK		3D		0.8		3856		0.591		0.512		0.433		1.563				WME		Water Meter

		UP3059		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3059		8/22/25 9:46		3725'39.3454"N		796'49.4190"W		40.679		484704.924		0		UNKNOWN		1094		32768		CLASSIC		OMNI PEAK		140		46.452		100		7		9		5.876		-3.236		-73.84		Yes		8/22/25 9:46		RTK		31		1.02		0.54		0.87		8927		-1339		Yes		RTK		3D		1		3856		1.512		1.157		0.748		3.808				WME		Water Meter

		UP3060		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3060		8/22/25 9:47		3725'39.7822"N		796'49.6618"W		48.44		484753.364		0		UNKNOWN		77		32768		CLASSIC		OMNI PEAK		140		66.587		100		5		11		2.613		0.684		47.896		Yes		8/22/25 9:47		RTK		31		1.02		0.54		0.86		8909		-1339		Yes		RTK		3D		1.4		3856		1.512		1.157		0.709		3.808				WME		Water Meter

		UP3061		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3061		8/22/25 9:47		3725'40.2065"N		796'49.3505"W		49.812		484803.176		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		44.439		100		11		7		10.217		-2.872		60.81		Yes		8/22/25 9:47		RTK		31		1.04		0.56		0.88		8942		-1339		Yes		RTK		3D		0.8		3856		0.672		0.672		0.551		1.9				WME		Water Meter

		UP3062		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3062		8/22/25 9:47		3725'40.9557"N		796'49.8513"W		86.056		484889.232		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		69.207		100		4		9		6.847		0.904		78.04		Yes		8/22/25 9:47		RTK		31		1.02		0.54		0.86		8913		-1339		Yes		RTK		3D		1		3856		0.759		0.591		0.394		1.923				WME		Water Meter

		UP3063		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3063		8/22/25 9:48		3725'40.9596"N		796'49.8265"W		2.035		484891.268		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		-1		9		10.85		0.104		19.157		Yes		8/22/25 9:48		RTK		31		1.02		0.54		0.86		8913		-1339		Yes		RTK		3D		1.8		3856		0.672		0.512		0.394		1.689				WME		Water Meter

		UP3064		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3064		8/22/25 9:50		3725'36.0692"N		796'45.9107"W		587.94		485479.208		0		UNKNOWN		44		32768		CLASSIC		OMNI PEAK		140		100		100		-1		10		7.156		0.514		63.912		Yes		8/22/25 9:50		RTK		30		1.02		0.55		0.86		8679		-1339		Yes		RTK		3D		1		3856		2.522		0.85		0.591		5.324				WME		Water Meter

		UP3065		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3065		8/22/25 9:51		3725'36.7724"N		796'45.3238"W		85.579		485564.786		0		UNKNOWN		4176		32768		CLASSIC		OMNI PEAK		140		33.674		100		7		13		8.481		3.612		62.478		Yes		8/22/25 9:51		RTK		30		1.02		0.54		0.86		8831		-1339		Yes		RTK		3D		0.8		3856		1.64		0.948		0.669		3.789				WME		Water Meter

		UP3066		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3066		8/22/25 9:52		3725'36.2204"N		796'43.8291"W		132.799		485697.585		0		UNKNOWN		90		32768		CLASSIC		OMNI PEAK		140		38.062		100		0		13		12.529		3.56		7.932		Yes		8/22/25 9:52		RTK		31		1.02		0.54		0.86		8804		-1339		Yes		RTK		3D		1		3856		1.27		1.05		0.669		3.296				WME		Water Meter

		UP3067		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3067		8/22/25 9:52		3725'36.3177"N		796'43.3934"W		36.469		485734.054		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		100		100		0		13		8.903		-3.289		6.309		Yes		8/22/25 9:52		RTK		31		1.02		0.54		0.86		8839		-1339		Yes		RTK		3D		1.2		3856		0.672		0.551		0.472		1.738				WME		Water Meter

		UP3068		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3068		8/22/25 9:55		3725'36.6178"N		796'41.4458"W		159.83		485893.883		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		140		100		100		-1		12		10.487		-1.703		-67.256		Yes		8/22/25 9:55		RTK		31		1.01		0.54		0.85		8996		-1339		Yes		RTK		3D		0.6		3856		0.759		0.551		0.472		1.875				WME		Water Meter

		UP3069		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3069		8/22/25 9:55		3725'36.7179"N		796'40.6650"W		63.722		485957.605		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		35.493		100		0		10		7.022		-2.647		67.557		Yes		8/22/25 9:55		RTK		32		1.01		0.54		0.85		9061		-1339		Yes		RTK		3D		1.2		3856		0.948		0.759		0.551		2.427				WME		Water Meter

		UP3070		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3070		8/22/25 9:56		3725'36.8011"N		796'40.2643"W		33.365		485990.969		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		22.091		100		-1		12		10.506		2.223		25.087		Yes		8/22/25 9:56		RTK		32		1.01		0.54		0.85		9099		-1339		Yes		RTK		3D		1.2		3856		0.472		0.433		0.394		1.282				WME		Water Meter

		UP3071		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3071		8/22/25 9:57		3725'37.0452"N		796'38.5518"W		140.174		486131.143		0		UNKNOWN		37		32768		CLASSIC		OMNI PEAK		140		58.477		100		3		11		6.722		-2.521		-62.759		Yes		8/22/25 9:57		RTK		32		1.01		0.54		0.85		9138		-1339		Yes		RTK		3D		0.8		3856		0.672		0.672		0.512		1.9				WME		Water Meter

		UP3072		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3072		8/22/25 9:57		3725'37.0521"N		796'38.5416"W		1.081		486132.224		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		45.63		100		-3		4		4.464		-3.81		-27.41		Yes		8/22/25 9:57		RTK		32		1.04		0.56		0.87		9137		-1339		Yes		RTK		3D		1.2		3856		0.551		0.512		0.394		1.504				WME		Water Meter

		UP3073		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3073		8/22/25 9:57		3725'37.0334"N		796'37.4524"W		87.774		486219.998		0		UNKNOWN		73		32768		CLASSIC		OMNI PEAK		140		56.905		100		4		7		9.913		-5.368		-0.893		Yes		8/22/25 9:57		RTK		32		1.01		0.54		0.85		9225		-1339		Yes		RTK		3D		0.8		3856		0.433		0.37		0.394		1.139				WME		Water Meter

		UP3074		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3074		8/22/25 9:58		3725'37.1749"N		796'36.6700"W		64.646		486284.644		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		3.758		100		0		14		6.065		-0.431		6.565		Yes		8/22/25 9:58		RTK		30		0.99		0.54		0.83		9200		-1339		Yes		RTK		3D		1.6		3856		0.591		0.472		0.433		1.513				WME		Water Meter

		UP3075		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3075		8/22/25 9:58		3725'36.9156"N		796'34.6164"W		167.528		486452.172		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		22.157		100		5		11		7.197		-0.63		-13.238		Yes		8/22/25 9:59		RTK		32		0.99		0.54		0.83		9148		-1339		Yes		RTK		3D		1.2		3856		0.85		0.591		0.472		2.071				WME		Water Meter

		UP3076		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3076		8/22/25 9:59		3725'36.9078"N		796'34.5993"W		1.591		486453.763		0		UNKNOWN		20		32768		CLASSIC		OMNI PEAK		140		100		100		2		9		4.638		1.06		6.74		Yes		8/22/25 9:59		RTK		32		0.99		0.54		0.83		9147		-1339		Yes		RTK		3D		1.2		3856		0.672		0.591		0.472		1.789				WME		Water Meter

		UP3077		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3077		8/22/25 9:59		3725'36.9077"N		796'34.5816"W		1.425		486455.188		0		UNKNOWN		27		32768		CLASSIC		OMNI PEAK		140		65.715		100		-2		10		6.313		1.726		14.605		Yes		8/22/25 9:59		RTK		32		0.99		0.54		0.83		9147		-1339		Yes		RTK		3D		1.4		3856		0.672		0.512		0.394		1.689				WME		Water Meter

		UP3078		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3078		8/22/25 9:59		3725'36.8998"N		796'34.5685"W		1.324		486456.512		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		24.182		100		0		9		5.728		1.731		-63.116		Yes		8/22/25 9:59		RTK		32		0.99		0.54		0.83		9147		-1339		Yes		RTK		3D		1.4		3856		0.759		0.591		0.472		1.923				WME		Water Meter

		UP3079		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3079		8/22/25 10:00		3725'38.2674"N		796'36.1174"W		186.604		486643.116		0		UNKNOWN		13		32768		CLASSIC		OMNI PEAK		140		100		100		3		9		9.859		-3.103		8.39		Yes		8/22/25 10:00		RTK		32		0.95		0.52		0.79		9287		-1339		Yes		RTK		3D		0.6		3856		0.472		0.382		0.394		1.215				WME		Water Meter

		UP3080		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3080		8/22/25 10:03		3725'37.8894"N		796'37.7908"W		140.158		486783.274		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		27.49		100		6		11		9.802		3.911		-51.245		Yes		8/22/25 10:03		FLOAT RTK		32		0.96		0.53		0.8		9231		-1339		Yes		FLOAT RTK		3D		0.8		3856		14.908		11.227		1.969		37.326				WME		Water Meter

		UP3081		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3081		8/22/25 10:08		3725'38.4326"N		796'34.1613"W		297.556		487080.83		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		17.064		100		0		13		6.071		1.287		70.987		Yes		8/22/25 10:08		RTK		31		0.99		0.54		0.83		9379		-1339		Yes		RTK		3D		1.2		3856		2.058		0.85		0.63		4.453				WME		Water Meter

		UP3082		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3082		8/22/25 10:08		3725'39.0272"N		796'34.5014"W		66.257		487147.087		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		1		11		9.289		-2.087		-2.656		Yes		8/22/25 10:08		RTK		31		0.98		0.54		0.82		9338		-1339		Yes		RTK		3D		1		3856		0.472		0.394		0.394		1.23				WME		Water Meter

		UP3083		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3083		8/22/25 10:09		3725'38.9057"N		796'33.3236"W		95.686		487242.774		0		UNKNOWN		83		32768		CLASSIC		OMNI PEAK		140		100		100		-31		8		12.637		-0.079		72.282		Yes		8/22/25 10:09		RTK		32		0.98		0.54		0.82		9402		-1339		Yes		RTK		3D		1.6		3856		0.672		0.512		0.433		1.689				WME		Water Meter

		UP3084		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3084		8/22/25 10:10		3725'39.3100"N		796'32.6847"W		65.814		487308.587		0		UNKNOWN		167		32768		CLASSIC		OMNI PEAK		140		54.877		100		8		10		5.911		-3.23		-0.079		Yes		8/22/25 10:10		RTK		32		0.98		0.54		0.82		9427		-1339		Yes		RTK		3D		0.8		3856		0.948		0.759		0.512		2.427				WME		Water Meter

		UP3085		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3085		8/22/25 10:10		3725'39.6809"N		796'32.3047"W		48.507		487357.095		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		10.968		100		-1		11		4.942		0.327		-10.824		Yes		8/22/25 10:10		RTK		32		0.98		0.54		0.82		9452		-1339		Yes		RTK		3D		1.4		3856		2.858		1.64		0.748		6.591				WME		Water Meter

		UP3086		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3086		8/22/25 10:10		3725'39.8553"N		796'32.0876"W		24.886		487381.981		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		94.589		100		-3		10		7.716		-3.888		-76.867		Yes		8/22/25 10:10		RTK		31		0.98		0.54		0.82		9455		-1339		Yes		RTK		3D		1.4		3856		0.551		0.394		0.394		1.355				WME		Water Meter

		UP3087		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3087		8/22/25 10:11		3725'39.8691"N		796'33.0272"W		75.71		487457.69		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		64.118		100		3		8		9.67		-2.152		30.008		Yes		8/22/25 10:11		RTK		31		1		0.55		0.84		9403		-1339		Yes		RTK		3D		1.6		3856		1.27		0.759		0.591		2.959				WME		Water Meter

		UP3088		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3088		8/22/25 10:26		3725'42.9025"N		796'33.1536"W		307.905		487765.596		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		16.648		100		36		8		10.984		-3.636		-11.55		Yes		8/22/25 10:26		FLOAT RTK		32		0.92		0.53		0.75		9528		-1339		Yes		FLOAT RTK		3D		0.6		3856		20.246		16.197		2.795		51.855				WME		Water Meter

		UP3089		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3089		8/22/25 10:26		3725'43.4545"N		796'32.9200"W		59.08		487824.676		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		140		100		100		-7		9		9.642		-1.129		72.324		Yes		8/22/25 10:26		FLOAT RTK		32		0.93		0.55		0.76		9554		-1339		Yes		FLOAT RTK		3D		2.4		3856		6.074		4.049		0.787		14.6				WME		Water Meter

		UP3090		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3090		8/22/25 10:29		3725'37.2222"N		796'43.0741"W		1033.906		488858.582		0		UNKNOWN		148		32768		CLASSIC		OMNI PEAK		140		100		100		-3		9		9.716		5.616		31.575		Yes		8/22/25 10:29		FLOAT RTK		32		0.91		0.53		0.74		9062		-1339		Yes		FLOAT RTK		3D		0.6		3856		3.313		2.945		0.512		8.865				WME		Water Meter

		UP3091		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3091		8/22/25 10:31		3725'37.4789"N		796'41.4068"W		136.825		488995.408		0		UNKNOWN		27		32768		CLASSIC		OMNI PEAK		140		100		100		1		10		6.51		3.646		21.218		Yes		8/22/25 10:31		RTK		29		1.1		0.61		0.91		9128		-1339		Yes		RTK		3D		1.8		3856		3.79		2.058		1.024		8.625				WME		Water Meter

		UP3092		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3092		8/22/25 10:31		3725'37.4542"N		796'41.4268"W		2.982		488998.39		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		45.319		100		-1		9		5.301		0.189		9.066		Yes		8/22/25 10:31		RTK		30		1.07		0.59		0.9		9124		-1339		Yes		RTK		3D		1.6		3856		2.688		1.64		0.866		6.297				WME		Water Meter

		UP3093		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3093		8/22/25 10:37		3725'43.4828"N		796'33.5025"W		884.094		489882.484		0		UNKNOWN		56		32768		CLASSIC		OMNI PEAK		140		50.841		100		1		12		14.451		-4.787		-8.243		Yes		8/22/25 10:37		RTK		30		1.03		0.58		0.85		9494		-1339		Yes		RTK		3D		1		3856		1.157		0.85		0.63		2.873				WME		Water Meter

		UP3094		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3094		8/22/25 10:38		3725'43.4572"N		796'32.9212"W		46.904		489929.388		0		UNKNOWN		86		32768		CLASSIC		OMNI PEAK		140		74.863		100		-5		6		11.579		-2.814		-9.416		Yes		8/22/25 10:38		RTK		31		1.03		0.58		0.85		9540		-1339		Yes		RTK		3D		1.6		3856		0.948		0.672		0.669		2.323				WME		Water Meter

		UP3095		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3095		8/22/25 10:39		3725'44.6414"N		796'33.6876"W		135.071		490064.459		0		UNKNOWN		64		32768		CLASSIC		OMNI PEAK		140		46.303		100		-12		10		6.661		1.252		-37.12		Yes		8/22/25 10:39		RTK		31		1.03		0.58		0.84		9421		-1339		Yes		RTK		3D		1.8		3856		1.913		1.388		0.787		4.728				WME		Water Meter

		UP3096		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3096		8/22/25 10:41		3725'44.6978"N		796'34.2892"W		48.804		490113.263		0		UNKNOWN		20		32768		CLASSIC		OMNI PEAK		140		90.36		100		0		8		9.209		2.253		-69.704		Yes		8/22/25 10:41		RTK		31		1.07		0.6		0.89		9376		-1339		Yes		RTK		3D		0.8		3856		0.759		0.551		0.472		1.875				WME		Water Meter

		UP3097		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3097		8/22/25 10:44		3725'46.8556"N		796'35.0770"W		227.923		490341.186		0		UNKNOWN		11		32768		CLASSIC		OMNI PEAK		140		100		100		0		12		7.133		-0.091		-84.27		Yes		8/22/25 10:44		RTK		29		1.12		0.61		0.94		9116		-1339		Yes		RTK		3D		1.4		3856		1.27		1.05		0.709		3.296				WME		Water Meter

		UP3098		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3098		8/22/25 10:44		3725'46.8665"N		796'35.0919"W		1.625		490342.811		0		UNKNOWN		24		32768		CLASSIC		OMNI PEAK		140		99.28		100		-7		12		4.35		7.333		-1.449		Yes		8/22/25 10:44		RTK		30		1.15		0.63		0.96		9116		-1339		Yes		RTK		3D		2.2		3856		1.774		1.512		0.906		4.662				WME		Water Meter

		UP3099		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3099		8/22/25 10:46		3725'48.4221"N		796'35.9796"W		173.264		490516.075		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		50.41		100		-5		9		18.494		-2.06		-52.452		Yes		8/22/25 10:46		RTK		31		1.16		0.63		0.97		9251		-1339		Yes		RTK		3D		1.4		3856		0.85		0.672		0.551		2.168				WME		Water Meter

		UP3100		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3100		8/22/25 10:48		3725'49.2100"N		796'37.0351"W		116.706		490632.782		0		UNKNOWN		8		32768		CLASSIC		OMNI PEAK		140		100		100		1		11		9.88		1.191		-29.606		Yes		8/22/25 10:48		RTK		30		1.02		0.58		0.84		9308		-1339		Yes		RTK		3D		0.6		3856		1.774		1.512		0.748		4.662				WME		Water Meter

		UP3101		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3101		8/22/25 10:49		3725'49.5397"N		796'37.2208"W		36.644		490669.425		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		-2		8		6.432		-0.514		35.131		Yes		8/22/25 10:49		RTK		30		1.02		0.58		0.84		9295		-1339		Yes		RTK		3D		1.4		3856		0.759		0.512		0.472		1.83				WME		Water Meter

		UP3102		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3102		8/22/25 10:49		3725'49.8936"N		796'36.9933"W		40.311		490709.736		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		-3		12		11.576		-3.497		-71.69		Yes		8/22/25 10:49		RTK		30		1.02		0.58		0.84		9290		-1339		Yes		RTK		3D		1.2		3856		1.27		1.05		0.669		3.296				WME		Water Meter

		UP3103		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3103		8/22/25 10:51		3725'50.5703"N		796'37.3564"W		74.618		490784.354		0		UNKNOWN		13		32768		CLASSIC		OMNI PEAK		140		100		100		8		9		13.633		-0.528		32.192		Yes		8/22/25 10:51		RTK		28		1.06		0.6		0.87		9243		-1339		Yes		RTK		3D		1.6		3856		1.388		1.27		0.748		3.764				WME		Water Meter

		UP3104		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3104		8/22/25 10:52		3725'51.9216"N		796'38.6602"W		172.702		490957.056		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		32.227		100		7		8		3.705		4.226		-68.486		Yes		8/22/25 10:52		RTK		30		1.02		0.58		0.84		9200		-1339		Yes		RTK		3D		1.4		3856		1.774		1.157		0.709		4.237				WME		Water Meter

		UP3105		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3105		8/22/25 10:52		3725'52.5382"N		796'38.5832"W		62.858		491019.914		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		-2		11		5.488		5.396		24.767		Yes		8/22/25 10:52		RTK		29		1.06		0.6		0.87		9132		-1339		Yes		RTK		3D		0.8		3856		1.774		1.512		0.827		4.662				WME		Water Meter

		UP3106		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3106		8/22/25 10:52		3725'52.6772"N		796'39.1383"W		46.891		491066.805		0		UNKNOWN		69		32768		CLASSIC		OMNI PEAK		140		94.5		100		1		11		2.585		-2.192		9.716		Yes		8/22/25 10:52		RTK		28		1.06		0.6		0.87		9098		-1339		Yes		RTK		3D		0.6		3856		1.913		1.512		0.866		4.877				WME		Water Meter

		UP3107		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3107		8/22/25 10:53		3725'53.2192"N		796'39.5003"W		62.237		491129.042		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		87.369		100		4		7		5.041		-2.024		-27.091		Yes		8/22/25 10:53		RTK		29		1.06		0.6		0.87		9044		-1339		Yes		RTK		3D		1		3856		2.688		1.512		0.827		6.167				WME		Water Meter

		UP3108		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3108		8/22/25 10:54		3725'53.9777"N		796'40.0115"W		87.275		491216.318		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		23.944		100		5		12		1.738		-1.051		-15.368		Yes		8/22/25 10:54		FLOAT RTK		29		1.06		0.6		0.87		8970		-1339		Yes		FLOAT RTK		3D		0.6		3856		6.442		5.522		1.063		16.969				WME		Water Meter

		UP3109		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3109		8/22/25 10:58		3725'41.2741"N		796'31.0078"W		1478.88		492695.198		0		UNKNOWN		1081		32768		CLASSIC		OMNI PEAK		140		19.539		100		1		11		9.479		-0.102		66.81		Yes		8/22/25 10:58		RTK		28		1.13		0.64		0.93		9487		-1339		Yes		RTK		3D		1.6		3856		1.157		0.948		0.669		2.992				WME		Water Meter

		UP3110		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3110		8/22/25 10:59		3725'41.5003"N		796'30.0284"W		82.173		492777.37		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		20.084		100		-2		13		8.778		0.652		-31.321		Yes		8/22/25 10:59		RTK		28		1.23		0.68		1.03		9511		-1339		Yes		RTK		3D		0.8		3856		1.512		1.388		0.787		4.105				WME		Water Meter

		UP3111		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3111		8/22/25 10:59		3725'41.5228"N		796'29.9950"W		3.529		492780.899		0		UNKNOWN		27		32768		CLASSIC		OMNI PEAK		140		94.119		100		-1		11		8.41		-2.582		5.66		Yes		8/22/25 10:59		RTK		26		1.23		0.68		1.03		9512		-1339		Yes		RTK		3D		1		3856		0.759		0.672		0.551		2.027				WME		Water Meter

		UP3112		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3112		8/22/25 11:00		3725'42.8476"N		796'29.4063"W		142.523		492923.422		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		23.881		100		19		13		8.231		4.06		12.73		Yes		8/22/25 11:00		RTK		28		1.23		0.68		1.02		9586		-1339		Yes		RTK		3D		1.4		3856		1.388		1.27		0.787		3.764				WME		Water Meter

		UP3113		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3113		8/22/25 11:00		3725'42.8549"N		796'29.3850"W		1.863		492925.285		0		UNKNOWN		8		32768		CLASSIC		OMNI PEAK		140		84.189		100		-5		12		11.694		0.083		-12.702		Yes		8/22/25 11:00		RTK		27		1.23		0.68		1.02		9586		-1339		Yes		RTK		3D		2.4		3856		0.759		0.551		0.472		1.875				WME		Water Meter

		UP3114		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3114		8/22/25 11:00		3725'42.8711"N		796'29.3721"W		1.948		492927.233		0		UNKNOWN		20		32768		CLASSIC		OMNI PEAK		140		100		100		-2		11		8.069		1.744		-21.834		Yes		8/22/25 11:00		RTK		27		1.23		0.68		1.02		9585		-1339		Yes		RTK		3D		1.8		3856		1.64		1.05		0.669		3.895				WME		Water Meter

		UP3115		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3115		8/22/25 11:00		3725'42.8957"N		796'29.2933"W		6.822		492934.055		0		UNKNOWN		180		32768		CLASSIC		OMNI PEAK		140		78.516		100		-3		10		10.536		2.753		-1.554		Yes		8/22/25 11:00		RTK		27		1.23		0.68		1.02		9579		-1339		Yes		RTK		3D		1.2		3856		1.64		1.27		0.709		4.15				WME		Water Meter

		UP3116		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3116		8/22/25 11:01		3725'43.4320"N		796'28.7075"W		72.023		493006.078		0		UNKNOWN		29		32768		CLASSIC		OMNI PEAK		140		75.031		100		-18		7		14.277		-5.602		-89.607		Yes		8/22/25 11:01		RTK		28		1.22		0.68		1.02		9626		-1339		Yes		RTK		3D		1.6		3856		1.388		1.05		0.748		3.481				WME		Water Meter

		UP3117		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3117		8/22/25 11:01		3725'43.2500"N		796'28.2194"W		43.444		493049.522		0		UNKNOWN		174		32768		CLASSIC		OMNI PEAK		140		78.432		100		-8		10		7.766		-1.228		11.159		Yes		8/22/25 11:01		RTK		28		1.22		0.68		1.02		9608		-1339		Yes		RTK		3D		0.8		3856		1.27		0.85		0.551		3.057				WME		Water Meter

		UP3118		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3118		8/22/25 11:01		3725'43.9573"N		796'28.2077"W		71.756		493121.277		0		UNKNOWN		8		32768		CLASSIC		OMNI PEAK		140		100		100		5		12		12.34		3.277		10.888		Yes		8/22/25 11:01		RTK		28		1.22		0.68		1.02		9694		-1339		Yes		RTK		3D		0.8		3856		0.512		0.472		0.394		1.393				WME		Water Meter

		UP3119		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3119		8/22/25 11:02		3725'43.8377"N		796'27.2369"W		79.149		493200.426		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		37.068		100		-2		13		4.814		-0.369		81.224		Yes		8/22/25 11:02		RTK		26		1.18		0.67		0.98		9698		-1339		Yes		RTK		3D		1.6		3856		0.759		0.551		0.433		1.875				WME		Water Meter

		UP3120		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3120		8/22/25 11:03		3725'44.4283"N		796'27.1659"W		60.189		493260.615		0		UNKNOWN		21		32768		CLASSIC		OMNI PEAK		140		94.947		100		-2		11		7.372		-3.947		6.091		Yes		8/22/25 11:03		RTK		28		1.22		0.68		1.02		9748		-1339		Yes		RTK		3D		1.4		3856		1.27		0.948		0.669		3.17				WME		Water Meter

		UP3121		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3121		8/22/25 11:03		3725'44.5967"N		796'26.4566"W		59.64		493320.254		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		82.783		100		61		8		7.383		3.112		-11.412		Yes		8/22/25 11:03		RTK		28		1.22		0.68		1.01		9771		-1339		Yes		RTK		3D		0.8		3856		1.05		0.948		0.63		2.828				WME		Water Meter

		UP3122		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3122		8/22/25 11:03		3725'44.2053"N		796'26.3664"W		40.363		493360.618		0		UNKNOWN		28		32768		CLASSIC		OMNI PEAK		140		100		100		5		10		7.818		3.845		34.727		Yes		8/22/25 11:04		RTK		28		1.22		0.68		1.01		9747		-1339		Yes		RTK		3D		0.8		3856		1.913		1.64		0.827		5.041				WME		Water Meter

		UP3123		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3123		8/22/25 11:04		3725'44.7591"N		796'26.0050"W		63.276		493423.894		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		19.68		100		2		9		7.026		-1.097		-4.703		Yes		8/22/25 11:04		RTK		27		1.11		0.64		0.91		9780		-1339		Yes		RTK		3D		1.4		3856		1.157		0.948		0.63		2.992				WME		Water Meter

		UP3124		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3124		8/22/25 11:04		3725'45.0420"N		796'25.2140"W		69.892		493493.786		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		100		100		8		11		8.492		1.651		-7.139		Yes		8/22/25 11:04		RTK		28		1.11		0.64		0.91		9800		-1339		Yes		RTK		3D		1.2		3856		1.157		0.85		0.63		2.873				WME		Water Meter

		UP3125		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3125		8/22/25 11:05		3725'44.6115"N		796'25.0824"W		44.94		493538.726		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		18.976		100		6		11		15.85		0.552		-19.471		Yes		8/22/25 11:05		RTK		28		1.11		0.64		0.91		9774		-1339		Yes		RTK		3D		1.2		3856		1.64		1.27		0.748		4.15				WME		Water Meter

		UP3126		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3126		8/22/25 11:05		3725'45.2967"N		796'24.8085"W		72.936		493611.662		0		UNKNOWN		10		32768		CLASSIC		OMNI PEAK		140		100		100		11		9		6.721		1.559		42.347		Yes		8/22/25 11:05		RTK		28		1.11		0.64		0.91		9826		-1339		Yes		RTK		3D		1.4		3856		1.157		0.948		0.63		2.992				WME		Water Meter

		UP3127		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3127		8/22/25 11:06		3725'45.4627"N		796'23.6414"W		95.518		493707.18		0		UNKNOWN		121		32768		CLASSIC		OMNI PEAK		140		78.91		100		-13		5		10.372		2.409		-32.49		Yes		8/22/25 11:06		RTK		28		1.11		0.64		0.91		9833		-1339		Yes		RTK		3D		1		3856		1.774		1.64		0.748		4.833				WME		Water Meter

		UP3128		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3128		8/22/25 11:06		3725'44.8925"N		796'24.0898"W		68.198		493775.378		0		UNKNOWN		7		32768		CLASSIC		OMNI PEAK		140		100		100		0		11		6.902		-6.57		-44.144		Yes		8/22/25 11:06		RTK		28		1.12		0.64		0.91		9800		-1339		Yes		RTK		3D		1		3856		1.157		0.85		0.63		2.873				WME		Water Meter

		UP3129		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3129		8/22/25 11:11		3725'43.8466"N		796'22.8207"W		147.347		493922.724		0		UNKNOWN		216		32768		CLASSIC		OMNI PEAK		140		87.461		100		30		6		10.068		3.53		-28.078		Yes		8/22/25 11:11		RTK		29		1.09		0.63		0.88		9697		-1339		Yes		RTK		3D		2		3856		0.591		0.551		0.472		1.616				WME		Water Meter

		UP3130		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3130		8/22/25 11:12		3725'42.6812"N		796'22.4568"W		121.813		494044.537		0		UNKNOWN		48		32768		CLASSIC		OMNI PEAK		140		73.178		100		-10		10		8.161		-2.334		76.942		Yes		8/22/25 11:12		RTK		29		1.07		0.61		0.88		9637		-1339		Yes		RTK		3D		1.4		3856		1.512		1.388		0.748		4.105				WME		Water Meter

		UP3131		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3131		8/22/25 11:12		3725'42.1855"N		796'22.1476"W		56.123		494100.66		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		67.43		100		1		10		8.154		1.969		85.519		Yes		8/22/25 11:12		RTK		29		1.07		0.61		0.88		9601		-1339		Yes		RTK		3D		2		3856		1.512		0.948		0.669		3.568				WME		Water Meter

		UP3132		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3132		8/22/25 11:13		3725'41.8984"N		796'22.0310"W		30.601		494131.261		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		6.46		100		9		11		8.94		-0.707		72.898		Yes		8/22/25 11:13		RTK		29		1.07		0.61		0.88		9562		-1339		Yes		RTK		3D		1.4		3856		1.774		1.27		0.709		4.364				WME		Water Meter

		UP3133		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3133		8/22/25 11:13		3725'41.9097"N		796'22.0149"W		1.735		494132.996		0		UNKNOWN		44		32768		CLASSIC		OMNI PEAK		140		100		100		23		11		11.742		-0.352		31.783		Yes		8/22/25 11:13		RTK		29		1.07		0.61		0.88		9564		-1339		Yes		RTK		3D		1.2		3856		1.05		0.85		0.551		2.702				WME		Water Meter

		UP3134		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3134		8/22/25 11:13		3725'41.5971"N		796'21.4313"W		56.717		494189.713		0		UNKNOWN		369		32768		CLASSIC		OMNI PEAK		140		15.583		100		0		10		11.842		2.541		-71.667		Yes		8/22/25 11:13		RTK		28		1.07		0.61		0.88		9531		-1339		Yes		RTK		3D		1.4		3856		1.388		1.05		0.748		3.481				WME		Water Meter

		UP3135		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3135		8/22/25 11:14		3725'41.7486"N		796'20.6879"W		61.824		494251.538		0		UNKNOWN		5		32768		CLASSIC		OMNI PEAK		140		100		100		2		10		10.398		4.062		39.158		Yes		8/22/25 11:14		RTK		29		1.07		0.61		0.88		9551		-1339		Yes		RTK		3D		1		3856		1.27		0.591		0.512		2.802				WME		Water Meter

		UP3136		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3136		8/22/25 11:14		3725'41.9010"N		796'20.5428"W		19.39		494270.927		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		19.8		100		1		13		7.718		1.025		-59.693		Yes		8/22/25 11:14		RTK		29		1.07		0.61		0.88		9591		-1339		Yes		RTK		3D		1.2		3856		0.759		0.551		0.472		1.875				WME		Water Meter

		UP3137		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3137		8/22/25 11:14		3725'41.9151"N		796'20.5500"W		1.549		494272.476		0		UNKNOWN		145		32768		CLASSIC		OMNI PEAK		140		49.353		100		-6		8		5.307		0.315		13.921		Yes		8/22/25 11:14		RTK		26		1.11		0.64		0.91		9591		-1339		Yes		RTK		3D		0.6		3856		0.591		0.472		0.394		1.513				WME		Water Meter

		UP3138		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3138		8/22/25 11:15		3725'42.1975"N		796'20.5533"W		28.645		494301.121		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		100		100		-4		9		-0.647		-1.443		-69.784		Yes		8/22/25 11:15		RTK		29		1.07		0.61		0.88		9625		-1339		Yes		RTK		3D		1.6		3856		3.992		2.362		1.181		9.277				WME		Water Meter

		UP3139		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3139		8/22/25 11:15		3725'42.4755"N		796'20.5883"W		28.348		494329.469		0		UNKNOWN		28		32768		CLASSIC		OMNI PEAK		140		100		100		6		12		2.539		-1.606		-65.455		Yes		8/22/25 11:15		RTK		28		1.19		0.66		0.99		9630		-1339		Yes		RTK		3D		1.8		3856		2.362		1.512		0.866		5.609				WME		Water Meter

		UP3140		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3140		8/22/25 11:15		3725'42.5220"N		796'20.5969"W		4.762		494334.231		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		-6		9		7.796		-2.429		-50.509		Yes		8/22/25 11:15		RTK		29		1.14		0.63		0.95		9633		-1339		Yes		RTK		3D		1.4		3856		1.27		0.948		0.63		3.17				WME		Water Meter

		UP3141		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3141		8/22/25 11:15		3725'42.8060"N		796'20.9660"W		41.405		494375.636		0		UNKNOWN		7		32768		CLASSIC		OMNI PEAK		140		100		100		6		7		4.239		-5.793		-69.638		Yes		8/22/25 11:15		RTK		29		1.19		0.66		0.99		9648		-1339		Yes		RTK		3D		1		3856		2.858		1.64		0.945		6.591				WME		Water Meter

		UP3142		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3142		8/22/25 11:16		3725'42.8615"N		796'21.1963"W		19.39		494395.026		0		UNKNOWN		8		32768		CLASSIC		OMNI PEAK		140		100		100		22		8		2.626		-3.924		63.584		Yes		8/22/25 11:16		RTK		29		1.19		0.66		0.99		9653		-1339		Yes		RTK		3D		0.8		3856		2.688		2.207		1.063		6.956				WME		Water Meter

		UP3143		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3143		8/22/25 11:20		3725'45.4635"N		796'23.6428"W		329.444		494724.47		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		62.495		100		-8		8		4.853		-0.315		79.708		Yes		8/22/25 11:20		RTK		26		1.43		0.71		1.24		9831		-1339		Yes		RTK		3D		0.8		3856		1.27		0.948		0.669		3.17				WME		Water Meter

		UP3144		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3144		8/22/25 11:21		3725'45.7933"N		796'22.6277"W		88.357		494812.827		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		3.697		100		-10		8		10.116		-1.841		-11.047		Yes		8/22/25 11:21		RTK		27		1.43		0.71		1.24		9841		-1339		Yes		RTK		3D		0.8		3856		3.034		2.362		1.142		7.69				WME		Water Meter

		UP3145		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3145		8/22/25 11:21		3725'45.4936"N		796'22.1001"W		52.263		494865.091		0		UNKNOWN		20		32768		CLASSIC		OMNI PEAK		140		100		100		2		12		10.149		-1.791		69.684		Yes		8/22/25 11:21		RTK		28		1.43		0.71		1.25		9833		-1339		Yes		RTK		3D		1		3856		1.64		1.27		0.787		4.15				WME		Water Meter

		UP3146		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3146		8/22/25 11:22		3725'46.0316"N		796'21.9240"W		56.392		494921.482		0		UNKNOWN		182		32768		CLASSIC		OMNI PEAK		140		100		100		-1		8		2.719		2.187		-48.6		Yes		8/22/25 11:22		RTK		26		1.43		0.71		1.25		9850		-1339		Yes		RTK		3D		1.6		3856		1.774		1.388		0.827		4.506				WME		Water Meter

		UP3147		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3147		8/22/25 11:22		3725'45.7717"N		796'20.9174"W		85.268		495006.75		0		UNKNOWN		351		32768		CLASSIC		OMNI PEAK		140		100		100		-25		2		6.625		2.598		19.637		Yes		8/22/25 11:23		RTK		28		1.44		0.71		1.25		9862		-1339		Yes		RTK		3D		1.4		3856		2.058		1.774		0.866		5.434				WME		Water Meter

		UP3148		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3148		8/22/25 11:23		3725'45.8191"N		796'20.6887"W		19.041		495025.791		0		UNKNOWN		167		32768		CLASSIC		OMNI PEAK		140		100		100		7		11		8.967		-2.056		78.589		Yes		8/22/25 11:23		RTK		27		1.44		0.71		1.25		9861		-1339		Yes		RTK		3D		1.2		3856		1.774		1.27		0.827		4.364				WME		Water Meter

		UP3149		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3149		8/22/25 11:23		3725'46.4731"N		796'20.1780"W		78.073		495103.864		-0.001		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		4.964		100		-23		8		5.627		1.082		31.072		Yes		8/22/25 11:23		RTK		28		1.44		0.71		1.26		9890		-1339		Yes		RTK		3D		1.4		3856		0.948		0.472		0.512		2.118				WME		Water Meter

		UP3150		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3150		8/22/25 11:24		3725'46.7038"N		796'19.2751"W		76.416		495180.28		0		UNKNOWN		17		32768		CLASSIC		OMNI PEAK		140		100		100		4		6		10.191		-0.574		82.277		Yes		8/22/25 11:24		RTK		28		1.44		0.71		1.26		9918		-1339		Yes		RTK		3D		1		3856		0.672		0.472		0.433		1.643				WME		Water Meter

		UP3151		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3151		8/22/25 11:25		3725'47.0241"N		796'17.9341"W		112.811		495293.091		0		UNKNOWN		960		32768		CLASSIC		OMNI PEAK		140		76.503		100		142		9		13.173		-1.464		60.537		Yes		8/22/25 11:25		FLOAT RTK		28		1.45		0.71		1.26		9915		-1339		Yes		FLOAT RTK		3D		0.6		3856		4.233		3.313		0.669		10.751				WME		Water Meter

		UP3152		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3152		8/22/25 11:25		3725'47.2548"N		796'17.1741"W		65.553		495358.644		0		UNKNOWN		26		32768		CLASSIC		OMNI PEAK		140		100		100		1		1		4.031		3.158		44.619		Yes		8/22/25 11:25		RTK		27		1.45		0.71		1.26		9874		-1339		Yes		RTK		3D		1.4		3856		1.64		1.05		0.669		3.895				WME		Water Meter

		UP3153		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3153		8/22/25 11:25		3725'46.7095"N		796'17.2881"W		56.084		495414.728		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		82.575		100		8		8		10.553		-0.917		-78.344		Yes		8/22/25 11:25		RTK		28		1.45		0.71		1.27		9887		-1339		Yes		RTK		3D		0.6		3856		0.591		0.551		0.433		1.616				WME		Water Meter

		UP3154		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3154		8/22/25 11:27		3725'45.5546"N		796'18.4456"W		149.745		495564.474		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		17.956		100		9		6		7.869		-0.893		19.69		Yes		8/22/25 11:27		RTK		28		1.45		0.71		1.27		9813		-1339		Yes		RTK		3D		0.8		3856		0.382		0.331		0.394		1.01				WME		Water Meter

		UP3155		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3155		8/22/25 11:27		3725'45.8100"N		796'18.1493"W		35.233		495599.707		0		UNKNOWN		40		32768		CLASSIC		OMNI PEAK		140		100		100		-2		6		10.751		4.287		-4.687		Yes		8/22/25 11:27		RTK		28		1.46		0.71		1.27		9863		-1339		Yes		RTK		3D		1.6		3856		0.591		0.551		0.512		1.616				WME		Water Meter

		UP3156		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3156		8/22/25 11:27		3725'45.8289"N		796'18.1478"W		1.923		495601.63		0		UNKNOWN		85		32768		CLASSIC		OMNI PEAK		140		100		100		-3		10		7.21		1.723		-14		Yes		8/22/25 11:27		RTK		28		1.46		0.71		1.27		9870		-1339		Yes		RTK		3D		2.2		3856		1.05		0.85		0.591		2.702				WME		Water Meter

		UP3157		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3157		8/22/25 11:28		3725'45.0168"N		796'17.3949"W		102.307		495703.937		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		47.225		100		3		9		9.752		-5.095		-27.844		Yes		8/22/25 11:28		RTK		28		1.46		0.71		1.28		9718		-1339		Yes		RTK		3D		1.4		3856		0.948		0.948		0.669		2.68				WME		Water Meter

		UP3158		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3158		8/22/25 11:28		3725'44.7235"N		796'17.0733"W		39.451		495743.387		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		14.107		100		-1		6		7.541		1.056		46.319		Yes		8/22/25 11:29		RTK		28		1.46		0.71		1.28		9689		-1339		Yes		RTK		3D		2		3856		1.388		1.05		0.748		3.481				WME		Water Meter

		UP3159		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3159		8/22/25 11:31		3725'43.8549"N		796'16.8660"W		89.688		495833.075		0		UNKNOWN		13		32768		CLASSIC		OMNI PEAK		140		100		100		1		3		6.028		-2.495		-60.02		Yes		8/22/25 11:31		RTK		29		1.47		0.71		1.29		9616		-1339		Yes		RTK		3D		0.6		3856		1.27		0.948		0.709		3.17				WME		Water Meter

		UP3160		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3160		8/22/25 11:32		3725'43.4193"N		796'15.7621"W		99.314		495932.389		0		UNKNOWN		20		32768		CLASSIC		OMNI PEAK		140		77.665		100		8		5		12.06		4.767		16.2		Yes		8/22/25 11:32		RTK		27		1.47		0.71		1.29		9573		-1339		Yes		RTK		3D		1		3856		1.774		1.157		0.787		4.237				WME		Water Meter

		UP3161		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3161		8/22/25 11:32		3725'43.4043"N		796'15.7545"W		1.636		495934.025		0		UNKNOWN		31		32768		CLASSIC		OMNI PEAK		140		100		100		0		11		8.219		-1.435		-0.936		Yes		8/22/25 11:32		RTK		29		1.47		0.71		1.29		9573		-1339		Yes		RTK		3D		1.8		3856		1.157		0.759		0.63		2.768				WME		Water Meter

		UP3162		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3162		8/22/25 11:33		3725'42.7636"N		796'15.1326"W		82.069		496016.094		0		UNKNOWN		1816		32768		CLASSIC		OMNI PEAK		140		67.213		100		-116		5		11.768		1.566		36.109		Yes		8/22/25 11:33		RTK		29		1.48		0.71		1.29		9541		-1339		Yes		RTK		3D		1.2		3856		1.512		0.948		0.709		3.568				WME		Water Meter

		UP3163		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3163		8/22/25 11:34		3725'40.9621"N		796'13.9624"W		205.646		496221.74		0		UNKNOWN		31		32768		CLASSIC		OMNI PEAK		140		100		100		-4		6		9.446		-0.518		56.749		Yes		8/22/25 11:34		RTK		29		1.48		0.71		1.3		9569		-1339		Yes		RTK		3D		1.2		3856		0.85		0.672		0.551		2.168				WME		Water Meter

		UP3164		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3164		8/22/25 11:35		3725'40.2605"N		796'13.3272"W		87.662		496309.402		0		UNKNOWN		48		32768		CLASSIC		OMNI PEAK		140		100		100		1		7		6.557		0.262		58.559		Yes		8/22/25 11:35		RTK		28		1.48		0.71		1.3		9658		-1339		Yes		RTK		3D		1		3856		1.64		1.157		0.827		4.015				WME		Water Meter

		UP3165		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3165		8/22/25 11:35		3725'39.7539"N		796'12.8196"W		65.682		496375.083		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		140		100		100		4		11		4.385		0.531		-65.227		Yes		8/22/25 11:35		RTK		29		1.6		0.73		1.42		9742		-1339		Yes		RTK		3D		1		3856		0.759		0.591		0.551		1.923				WME		Water Meter

		UP3166		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3166		8/22/25 11:36		3725'38.4604"N		796'12.0922"W		143.714		496518.798		0		UNKNOWN		36		32768		CLASSIC		OMNI PEAK		140		40.996		100		10		12		8.015		0.38		63.314		Yes		8/22/25 11:36		RTK		29		1.27		0.68		1.07		9894		-1339		Yes		RTK		3D		0.8		3856		2.058		1.388		0.906		4.965				WME		Water Meter

		UP3167		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3167		8/22/25 11:37		3725'39.6184"N		796'12.0857"W		117.48		496636.277		0		UNKNOWN		7		32768		CLASSIC		OMNI PEAK		140		100		100		-1		9		8.374		2.794		34.358		Yes		8/22/25 11:37		RTK		29		1.37		0.7		1.17		9793		-1339		Yes		RTK		3D		1.6		3856		1.512		0.948		0.709		3.568				WME		Water Meter

		UP3168		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3168		8/22/25 11:39		3725'40.9751"N		796'12.2925"W		138.639		496774.916		0		UNKNOWN		23		32768		CLASSIC		OMNI PEAK		140		100		100		-3		9		5.864		3.193		-22.592		Yes		8/22/25 11:39		RTK		28		1.28		0.67		1.09		9672		-1339		Yes		RTK		3D		1.4		3856		1.157		0.759		0.63		2.768				WME		Water Meter

		UP3169		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3169		8/22/25 11:40		3725'41.5896"N		796'10.1582"W		182.902		496957.819		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		36.69		100		4		8		13.566		3.933		-41.197		Yes		8/22/25 11:40		RTK		28		1.23		0.66		1.04		9730		-1339		Yes		RTK		3D		0.6		3856		1.27		0.948		0.63		3.17				WME		Water Meter

		UP3170		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3170		8/22/25 12:55		3725'42.0576"N		796'8.2516"W		160.768		497118.587		0		UNKNOWN		90		32768		CLASSIC		OMNI PEAK		140		34.487		100		-26		8		10.891		2.356		77.287		Yes		8/22/25 12:55		RTK		22		1.35		0.67		1.17		9751		-1339		Yes		RTK		3D		3.6		4072		2.207		1.157		0.945		4.985				WME		Water Meter

		UP3171		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3171		8/22/25 12:56		3725'41.9380"N		796'6.4373"W		146.668		497265.254		0		UNKNOWN		20		32768		CLASSIC		OMNI PEAK		140		39.689		100		2		9		8.047		-0.009		9.63		Yes		8/22/25 12:56		RTK		22		1.24		0.68		1.03		9804		-1339		Yes		RTK		3D		0.8		4072		0.672		0.551		0.512		1.738				WME		Water Meter

		UP3172		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3172		8/22/25 12:58		3725'44.5084"N		796'8.3897"W		304.535		497569.79		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		140		100		100		24		10		14.471		-0.665		-50.557		Yes		8/22/25 12:58		RTK		26		1.05		0.59		0.87		9887		-1339		Yes		RTK		3D		1.2		4072		1.05		0.85		0.63		2.702				WME		Water Meter

		UP3173		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3173		8/22/25 12:59		3725'45.7030"N		796'7.7683"W		131.123		497700.913		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		64.459		100		-3		9		7.376		-5.403		-77.055		Yes		8/22/25 12:59		RTK		27		0.99		0.56		0.81		9875		-1339		Yes		RTK		3D		1.4		4072		0.672		0.551		0.472		1.738				WME		Water Meter

		UP3174		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3174		8/22/25 13:00		3725'46.6400"N		796'6.4052"W		145.246		497846.159		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		11.7		100		15		9		21.867		-1.934		-69.091		Yes		8/22/25 13:00		RTK		27		1.04		0.58		0.86		9975		-1339		Yes		RTK		3D		0.6		4072		0.433		0.374		0.394		1.144				WME		Water Meter

		UP3175		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3175		8/22/25 13:04		3725'42.3082"N		796'3.8801"W		484.269		498330.428		0		UNKNOWN		7		32768		CLASSIC		OMNI PEAK		140		100		100		2		12		13.12		-0.714		-19.444		Yes		8/22/25 13:04		RTK		31		1.01		0.57		0.84		9915		-1339		Yes		RTK		3D		0.8		4072		1.157		0.591		0.512		2.599				WME		Water Meter

		UP3176		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3176		8/22/25 13:06		3725'43.5613"N		796'1.5256"W		228.351		498558.779		0		UNKNOWN		5		32768		CLASSIC		OMNI PEAK		140		100		100		4		12		8.674		0.716		25.721		Yes		8/22/25 13:06		RTK		30		1		0.56		0.83		9783		-1339		Yes		RTK		3D		0.6		4072		1.64		0.948		0.669		3.789				WME		Water Meter

		UP3177		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3177		8/22/25 13:06		3725'42.8113"N		796'1.7578"W		78.348		498637.127		0		UNKNOWN		8		32768		CLASSIC		OMNI PEAK		140		100		100		4		11		8.006		1.424		-16.122		Yes		8/22/25 13:06		RTK		30		1		0.56		0.84		9790		-1339		Yes		RTK		3D		0.6		4072		0.948		0.759		0.591		2.427				WME		Water Meter

		UP3178		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3178		8/22/25 13:07		3725'42.5827"N		796'0.4159"W		110.564		498747.691		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		31.577		100		0		12		4.827		2.919		65.955		Yes		8/22/25 13:07		RTK		30		1.06		0.6		0.88		9774		-1339		Yes		RTK		3D		0.8		4072		1.388		0.591		0.512		3.018				WME		Water Meter

		UP3179		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3179		8/22/25 13:09		3725'41.4223"N		795'59.7392"W		129.737		498877.428		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		10.693		100		2		11		12.344		-0.37		75.337		Yes		8/22/25 13:09		RTK		30		1.01		0.55		0.84		9714		-1339		Yes		RTK		3D		0.8		4072		1.157		0.759		0.63		2.768				WME		Water Meter

		UP3180		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3180		8/22/25 13:09		3725'41.6960"N		795'59.0666"W		60.891		498938.319		0		UNKNOWN		18		32768		CLASSIC		OMNI PEAK		140		95.01		100		-10		7		16.679		2.208		-36.191		Yes		8/22/25 13:09		RTK		30		1.01		0.55		0.84		9689		-1339		Yes		RTK		3D		0.6		4072		0.85		0.672		0.551		2.168				WME		Water Meter

		UP3181		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3181		8/22/25 13:11		3725'41.0599"N		795'57.8731"W		115.799		499054.118		0		UNKNOWN		121		32768		CLASSIC		OMNI PEAK		140		66.834		100		8		9		10.528		1.729		48.585		Yes		8/22/25 13:11		RTK		31		1.01		0.55		0.85		9696		-1339		Yes		RTK		3D		1.2		4072		0.394		0.37		0.394		1.081				WME		Water Meter

		UP3182		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3182		8/22/25 13:13		3725'39.9580"N		795'56.0880"W		182.147		499236.265		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		45.541		100		24		7		10.081		0.134		37.465		Yes		8/22/25 13:13		RTK		32		1.01		0.55		0.85		9598		-1339		Yes		RTK		3D		1.4		4072		0.948		0.433		0.433		2.084				WME		Water Meter

		UP3183		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3183		8/22/25 13:13		3725'38.7686"N		795'55.6948"W		124.756		499361.02		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		19.981		100		16		10		10.431		2.114		21.806		Yes		8/22/25 13:13		RTK		32		1.01		0.55		0.85		9536		-1339		Yes		RTK		3D		1.2		4072		0.551		0.472		0.433		1.452				WME		Water Meter

		UP3184		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3184		8/22/25 13:15		3725'38.1731"N		795'54.5280"W		111.742		499472.762		0		UNKNOWN		16		32768		CLASSIC		OMNI PEAK		140		100		100		-8		9		8.72		2.948		-15.004		Yes		8/22/25 13:15		RTK		32		1.01		0.55		0.85		9460		-1339		Yes		RTK		3D		1		4072		0.85		0.672		0.551		2.168				WME		Water Meter

		UP3185		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3185		8/22/25 13:16		3725'35.8854"N		795'53.1481"W		257.341		499730.103		0		UNKNOWN		112		32768		CLASSIC		OMNI PEAK		140		38.595		100		2		11		4.921		-3.291		46.623		Yes		8/22/25 13:16		RTK		32		1.01		0.55		0.85		9264		-1339		Yes		RTK		3D		1.8		4072		0.433		0.394		0.394		1.171				WME		Water Meter

		UP3186		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3186		8/22/25 13:16		3725'35.8639"N		795'53.1618"W		2.449		499732.552		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		33.642		100		3		8		9.411		5.534		14.539		Yes		8/22/25 13:16		RTK		32		1.01		0.55		0.85		9262		-1339		Yes		RTK		3D		1		4072		1.157		0.85		0.63		2.873				WME		Water Meter

		UP3187		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3187		8/22/25 13:16		3725'35.8514"N		795'53.1643"W		1.285		499733.837		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		5.101		100		-5		12		11.694		4.206		-70.801		Yes		8/22/25 13:16		RTK		32		1.01		0.55		0.85		9262		-1339		Yes		RTK		3D		2		4072		0.551		0.512		0.433		1.504				WME		Water Meter

		UP3188		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3188		8/22/25 13:21		3725'36.8922"N		796'13.8641"W		1671.021		501404.857		0		UNKNOWN		8		32768		CLASSIC		OMNI PEAK		140		100		100		1		12		7.291		-1.164		-47.641		Yes		8/22/25 13:21		RTK		32		1.07		0.59		0.9		9844		-1339		Yes		RTK		3D		0.8		4072		0.551		0.512		0.433		1.504				WME		Water Meter

		UP3189		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3189		8/22/25 13:22		3725'36.2354"N		796'14.8891"W		106.107		501510.964		0		UNKNOWN		19		32768		CLASSIC		OMNI PEAK		140		63.447		100		-1		8		14.753		-1.271		1.183		Yes		8/22/25 13:22		RTK		32		1.07		0.58		0.9		9835		-1339		Yes		RTK		3D		0.6		4072		0.512		0.386		0.394		1.282				WME		Water Meter

		UP3190		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3190		8/22/25 13:23		3725'36.3010"N		796'13.1158"W		143.02		501653.984		0		UNKNOWN		13		32768		CLASSIC		OMNI PEAK		140		100		100		0		10		13.7		-1.789		11.477		Yes		8/22/25 13:23		RTK		30		1.07		0.58		0.89		9947		-1339		Yes		RTK		3D		0.8		4072		1.27		1.05		0.748		3.296				WME		Water Meter

		UP3191		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3191		8/22/25 13:24		3725'35.5427"N		796'13.7936"W		94.345		501748.328		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		21.939		100		0		10		12.786		2.418		45.222		Yes		8/22/25 13:24		RTK		29		1.02		0.56		0.85		9943		-1339		Yes		RTK		3D		1		4072		1.157		0.948		0.709		2.992				WME		Water Meter

		UP3192		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3192		8/22/25 13:24		3725'35.4815"N		796'13.8258"W		6.73		501755.058		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		15.51		100		2		12		14.029		2.82		-83.005		Yes		8/22/25 13:24		FLOAT RTK		30		1.01		0.55		0.85		9953		-1339		Yes		FLOAT RTK		3D		1.4		4072		3.313		2.945		0.591		8.865				WME		Water Meter

		UP3193		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3193		8/22/25 13:27		3725'33.9804"N		796'16.8080"W		284.454		502039.512		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		53.256		100		6		9		2.969		4.85		5.769		Yes		8/22/25 13:27		RTK		32		1.01		0.54		0.85		9641		-1339		Yes		RTK		3D		0.8		4072		1.64		1.05		0.787		3.895				WME		Water Meter

		UP3194		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3194		8/22/25 13:27		3725'33.9423"N		796'16.8717"W		6.429		502045.941		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		25.532		100		0		11		12.421		2.647		2.903		Yes		8/22/25 13:27		RTK		32		1.09		0.6		0.92		9638		-1339		Yes		RTK		3D		1.2		4072		1.388		1.05		0.748		3.481				WME		Water Meter

		UP3195		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3195		8/22/25 13:28		3725'33.6346"N		796'18.7050"W		150.96		502196.901		0		UNKNOWN		11		32768		CLASSIC		OMNI PEAK		140		100		100		-4		9		5.591		-3.245		-41.725		Yes		8/22/25 13:28		RTK		32		1.18		0.6		1.01		9542		-1339		Yes		RTK		3D		1.4		4072		0.591		0.512		0.472		1.563				WME		Water Meter

		UP3196		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3196		8/22/25 13:29		3725'34.2201"N		796'19.2495"W		73.844		502270.745		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		42.313		100		-1		12		4.714		3.063		-45.421		Yes		8/22/25 13:29		RTK		32		1.13		0.59		0.96		9546		-1339		Yes		RTK		3D		0.8		4072		0.759		0.591		0.551		1.923				WME		Water Meter

		UP3197		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3197		8/22/25 13:30		3725'34.1803"N		796'20.8688"W		130.525		502401.27		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		10.73		100		-1		9		-5.164		-1.451		-10.409		Yes		8/22/25 13:30		RTK		32		1.13		0.59		0.96		9528		-1339		Yes		RTK		3D		1		4072		1.05		0.948		0.669		2.828				WME		Water Meter

		UP3198		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3198		8/22/25 13:31		3725'34.2882"N		796'22.6007"W		139.96		502541.23		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		29.087		100		3		8		5.685		6.127		5.68		Yes		8/22/25 13:31		RTK		32		1.05		0.57		0.88		9452		-1339		Yes		RTK		3D		1.2		4072		1.64		1.157		0.827		4.015				WME		Water Meter

		UP3199		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3199		8/22/25 13:32		3725'34.1189"N		796'21.0729"W		124.281		502665.511		0		UNKNOWN		28		32768		CLASSIC		OMNI PEAK		140		100		100		0		12		9.196		-0.68		5.49		Yes		8/22/25 13:32		RTK		31		1.09		0.58		0.93		9461		-1339		Yes		RTK		3D		0.8		4072		1.157		0.551		0.669		2.564				WME		Water Meter

		UP3200		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3200		8/22/25 13:33		3725'34.3716"N		796'23.3485"W		185.116		502850.628		0		UNKNOWN		61		32768		CLASSIC		OMNI PEAK		140		94.912		100		3		8		8.344		0.358		-17.082		Yes		8/22/25 13:33		FLOAT RTK		32		1.09		0.58		0.92		9328		-1339		Yes		FLOAT RTK		3D		1.4		4072		2.209		2.025		0.472		5.992				WME		Water Meter

		UP3201		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3201		8/22/25 13:33		3725'34.5341"N		796'24.1040"W		63.066		502913.694		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		98.992		100		-6		10		6.187		-1.545		79.676		Yes		8/22/25 13:33		RTK		32		1.12		0.59		0.95		9271		-1339		Yes		RTK		3D		1.8		4072		2.207		1.27		0.945		5.094				WME		Water Meter

		UP3202		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3202		8/22/25 13:37		3725'33.1750"N		796'24.3510"W		139.31		503053.004		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		2.903		100		0		13		2.823		7.33		87.496		Yes		8/22/25 13:37		RTK		30		1.08		0.57		0.91		9435		-1339		Yes		RTK		3D		1.4		4072		0.672		0.512		0.472		1.689				WME		Water Meter

		UP3203		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3203		8/22/25 13:37		3725'32.0684"N		796'25.1798"W		130.625		503183.629		0		UNKNOWN		19		32768		CLASSIC		OMNI PEAK		140		100		100		8		9		7.421		4.722		-31.629		Yes		8/22/25 13:38		RTK		31		1.08		0.57		0.91		9438		-1339		Yes		RTK		3D		1.4		4072		2.362		1.774		0.984		5.909				WME		Water Meter

		UP3204		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3204		8/22/25 13:38		3725'30.9695"N		796'24.9884"W		112.537		503296.166		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		37.877		100		0		10		10.068		-1.266		-20.009		Yes		8/22/25 13:38		RTK		31		1.13		0.57		0.98		9444		-1339		Yes		RTK		3D		1.4		4072		1.64		1.05		0.787		3.895				WME		Water Meter

		UP3205		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3205		8/22/25 13:41		3725'28.8933"N		796'24.3999"W		215.905		503512.072		0		UNKNOWN		29		32768		CLASSIC		OMNI PEAK		140		79.243		100		0		8		10.969		-2.637		43.337		Yes		8/22/25 13:41		RTK		31		1.03		0.54		0.88		9545		-1339		Yes		RTK		3D		1.6		4072		0.672		0.472		0.472		1.643				WME		Water Meter

		UP3206		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3206		8/22/25 13:41		3725'29.4913"N		796'24.9231"W		73.869		503585.94		0		UNKNOWN		55		32768		CLASSIC		OMNI PEAK		140		51.079		100		0		13		10.102		0.515		-84.926		Yes		8/22/25 13:41		RTK		31		1.03		0.54		0.88		9522		-1339		Yes		RTK		3D		1.6		4072		0.948		0.759		0.63		2.427				WME		Water Meter

		UP3207		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3207		8/22/25 13:42		3725'28.2189"N		796'24.8103"W		129.398		503715.338		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		1		11		9.355		-5.302		7.555		Yes		8/22/25 13:42		RTK		31		1.03		0.54		0.88		9572		-1339		Yes		RTK		3D		1.2		4072		1.388		1.05		0.787		3.481				WME		Water Meter

		UP3208		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3208		8/22/25 13:42		3725'27.8300"N		796'24.3198"W		55.846		503771.184		0		UNKNOWN		11		32768		CLASSIC		OMNI PEAK		140		100		100		0		11		5.257		-1.538		54.285		Yes		8/22/25 13:42		RTK		30		1.03		0.54		0.88		9596		-1339		Yes		RTK		3D		1.2		4072		1.05		0.759		0.709		2.59				WME		Water Meter

		UP3209		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3209		8/22/25 13:44		3725'27.8836"N		796'27.7715"W		278.142		504049.326		0		UNKNOWN		33		32768		CLASSIC		OMNI PEAK		140		100		100		0		12		8.82		8		34.046		Yes		8/22/25 13:44		RTK		31		1.03		0.54		0.88		9506		-1339		Yes		RTK		3D		0.8		4072		1.05		0.948		0.748		2.828				WME		Water Meter

		UP3210		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3210		8/22/25 13:44		3725'27.8898"N		796'27.7958"W		2.056		504051.382		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		14		9		8.46		-0.826		-89.81		Yes		8/22/25 13:44		RTK		31		1.03		0.54		0.88		9509		-1339		Yes		RTK		3D		1.4		4072		0.551		0.551		0.512		1.559				WME		Water Meter

		UP3211		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3211		8/22/25 13:50		3725'28.0861"N		796'29.1882"W		113.936		504165.319		0		UNKNOWN		142		32768		CLASSIC		OMNI PEAK		140		100		100		-11		10		4.556		-4.949		-44.547		Yes		8/22/25 13:50		RTK		31		1.09		0.58		0.93		9412		-1339		Yes		RTK		3D		0.8		4072		2.688		0.759		0.945		5.585				WME		Water Meter

		UP3212		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3212		8/22/25 13:50		3725'28.1749"N		796'29.8846"W		56.826		504222.145		0		UNKNOWN		18		32768		CLASSIC		OMNI PEAK		140		100		100		7		6		5.21		3.713		-32.702		Yes		8/22/25 13:50		RTK		31		1.01		0.52		0.87		9344		-1339		Yes		RTK		3D		1.4		4072		1.157		0.672		0.709		2.677				WME		Water Meter

		UP3213		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3213		8/22/25 13:51		3725'27.9014"N		796'30.8073"W		79.349		504301.494		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		4		11		3.354		-1.6		56.6		Yes		8/22/25 13:51		RTK		31		1.01		0.52		0.87		9305		-1339		Yes		RTK		3D		1		4072		1.774		1.157		0.866		4.237				WME		Water Meter

		UP3214		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3214		8/22/25 13:51		3725'27.8491"N		796'31.0901"W		23.393		504324.887		0		UNKNOWN		41		32768		CLASSIC		OMNI PEAK		140		100		100		-2		11		8.984		1.867		-29.148		Yes		8/22/25 13:51		RTK		31		1.01		0.52		0.86		9326		-1339		Yes		RTK		3D		0.8		4072		1.157		0.551		0.669		2.564				WME		Water Meter

		UP3215		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3215		8/22/25 13:54		3725'26.1248"N		796'24.0661"W		592.328		504917.215		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		28.89		100		16		7		11.886		0.017		-36.82		Yes		8/22/25 13:54		RTK		31		1.18		0.59		1.03		9601		-1339		Yes		RTK		3D		1		4072		1.157		0.591		0.669		2.599				WME		Water Meter

		UP3216		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3216		8/22/25 13:55		3725'26.1871"N		796'24.7261"W		53.552		504970.767		0		UNKNOWN		38		32768		CLASSIC		OMNI PEAK		140		67.468		100		-6		9		8.078		-0.93		15.162		Yes		8/22/25 13:55		RTK		31		1.15		0.57		1		9590		-1339		Yes		RTK		3D		0.8		4072		0.378		0.331		0.394		1.004				WME		Water Meter

		UP3217		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3217		8/22/25 13:57		3725'25.5633"N		796'27.3609"W		221.514		505192.281		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		34.796		100		-4		9		23.463		2.497		68.406		Yes		8/22/25 13:57		FLOAT RTK		30		1.12		0.56		0.97		9591		-1339		Yes		FLOAT RTK		3D		1.2		4072		29.449		23.927		5.512		75.888				WME		Water Meter

		UP3218		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3218		8/22/25 13:59		3725'22.5722"N		796'32.2089"W		494.612		505686.893		0		UNKNOWN		78		32768		CLASSIC		OMNI PEAK		140		48.55		100		0		12		8.478		-1.114		65.317		Yes		8/22/25 13:59		RTK		29		1.14		0.57		0.99		9491		-1339		Yes		RTK		3D		1.2		4072		1.388		0.85		0.827		3.256				WME		Water Meter

		UP3219		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3219		8/22/25 14:00		3725'22.1854"N		796'33.4815"W		109.788		505796.681		0		UNKNOWN		33		32768		CLASSIC		OMNI PEAK		140		78.605		100		7		10		6.484		-0.196		-55.994		Yes		8/22/25 14:00		RTK		29		1.18		0.59		1.02		9179		-1339		Yes		RTK		3D		0.8		4072		0.551		0.472		0.669		1.452				WME		Water Meter

		UP3220		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3220		8/22/25 14:02		3725'20.2768"N		796'34.5832"W		213.002		506009.683		0		UNKNOWN		176		32768		CLASSIC		OMNI PEAK		140		43.709		100		1		10		11.232		5.311		-3.887		Yes		8/22/25 14:02		RTK		27		1.24		0.6		1.09		8965		-1339		Yes		RTK		3D		1.4		4072		0.551		0.472		0.551		1.452				WME		Water Meter

		UP3221		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3221		8/22/25 14:02		3725'20.4580"N		796'35.2712"W		58.396		506068.08		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		100		100		-1		12		11.048		-1.909		-10.537		Yes		8/22/25 14:02		RTK		28		1.24		0.6		1.09		8977		-1339		Yes		RTK		3D		1.8		4072		1.913		0.85		1.26		4.188				WME		Water Meter

		UP3222		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3222		8/22/25 14:03		3725'18.8358"N		796'35.9474"W		173.354		506241.434		0		UNKNOWN		27		32768		CLASSIC		OMNI PEAK		140		77.546		100		1		13		10.31		1.352		48.629		Yes		8/22/25 14:03		RTK		28		1.24		0.6		1.08		8896		-1339		Yes		RTK		3D		1.6		4072		1.512		0.759		0.866		3.383				WME		Water Meter

		UP3223		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3223		8/22/25 14:04		3725'18.2183"N		796'36.6200"W		82.832		506324.266		0		UNKNOWN		133		32768		CLASSIC		OMNI PEAK		140		100		100		25		6		6.409		0.652		43.142		Yes		8/22/25 14:04		RTK		27		1.29		0.61		1.14		8891		-1339		Yes		RTK		3D		1.2		4072		1.27		0.85		0.866		3.057				WME		Water Meter

		UP3224		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3224		8/22/25 14:05		3725'18.3209"N		796'37.2692"W		53.331		506377.597		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		28.901		100		9		13		2.33		-4.461		49.424		Yes		8/22/25 14:05		RTK		28		1.24		0.6		1.08		8880		-1339		Yes		RTK		3D		1.2		4072		0.591		0.394		0.472		1.42				WME		Water Meter

		UP3225		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3225		8/22/25 14:06		3725'16.5857"N		796'38.7048"W		210.635		506588.232		0		UNKNOWN		30		32768		CLASSIC		OMNI PEAK		140		100		100		-1		13		6.315		3.831		-88.409		Yes		8/22/25 14:06		RTK		26		1.23		0.6		1.08		8741		-1339		Yes		RTK		3D		1.2		4072		0.551		0.433		0.551		1.402				WME		Water Meter

		UP3226		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3226		8/22/25 14:09		3725'15.1400"N		796'40.5046"W		206.256		506794.488		0		UNKNOWN		5		32768		CLASSIC		OMNI PEAK		140		100		100		7		12		1.926		3.767		9.221		Yes		8/22/25 14:09		RTK		26		1.23		0.6		1.07		8474		-1339		Yes		RTK		3D		0.8		4072		1.913		1.157		1.063		4.472				WME		Water Meter

		UP3227		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3227		8/22/25 14:09		3725'15.2350"N		796'40.5117"W		9.655		506804.143		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		3		10		9.429		2.997		15.903		Yes		8/22/25 14:09		RTK		28		1.22		0.6		1.07		8486		-1339		Yes		RTK		3D		1		4072		1.913		0.948		0.945		4.27				WME		Water Meter

		UP3228		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3228		8/22/25 14:09		3725'15.2439"N		796'40.4980"W		1.435		506805.577		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		14.255		100		1		12		13.789		-2.479		-65.256		Yes		8/22/25 14:09		RTK		28		1.22		0.6		1.07		8491		-1339		Yes		RTK		3D		1.6		4072		1.05		0.551		0.748		2.372				WME		Water Meter

		UP3229		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3229		8/22/25 14:12		3725'24.0423"N		796'23.6532"W		1624.398		508429.976		0		UNKNOWN		8		32768		CLASSIC		OMNI PEAK		140		100		100		-3		12		11.876		-2.321		-66.057		Yes		8/22/25 14:12		RTK		29		1.1		0.58		0.94		9432		-1339		Yes		RTK		3D		1.4		4072		0.948		0.672		0.906		2.323				WME		Water Meter

		UP3230		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3230		8/22/25 14:13		3725'23.7624"N		796'24.0742"W		44.235		508474.211		0		UNKNOWN		31		32768		CLASSIC		OMNI PEAK		140		100		100		-10		9		9.833		1.519		-23.592		Yes		8/22/25 14:13		RTK		29		1.22		0.62		1.05		9409		-1339		Yes		RTK		3D		1.8		4072		1.157		0.672		0.787		2.677				WME		Water Meter

		UP3231		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3231		8/22/25 14:14		3725'23.1202"N		796'23.4247"W		83.57		508557.781		0		UNKNOWN		110		32768		CLASSIC		OMNI PEAK		140		66.635		100		-6		11		6.971		-1.736		47.651		Yes		8/22/25 14:14		RTK		28		1.15		0.58		0.99		9352		-1339		Yes		RTK		3D		0.6		4072		1.05		0.85		0.787		2.702				WME		Water Meter

		UP3232		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3232		8/22/25 14:14		3725'22.9795"N		796'23.9431"W		44.141		508601.922		0		UNKNOWN		61		32768		CLASSIC		OMNI PEAK		140		100		100		0		10		5.936		-0.323		-42.961		Yes		8/22/25 14:14		RTK		28		1.15		0.58		0.99		9336		-1339		Yes		RTK		3D		1.2		4072		1.05		0.672		0.827		2.493				WME		Water Meter

		UP3233		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3233		8/22/25 14:15		3725'22.2756"N		796'23.2956"W		88.437		508690.359		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		9.896		100		-17		8		5.2		1.974		26.102		Yes		8/22/25 14:15		RTK		30		1.15		0.58		0.99		9266		-1339		Yes		RTK		3D		1.8		4072		1.388		0.948		1.063		3.362				WME		Water Meter

		UP3234		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3234		8/22/25 14:16		3725'21.8605"N		796'23.6433"W		50.577		508740.936		0		UNKNOWN		8		32768		CLASSIC		OMNI PEAK		140		100		100		-1		11		11.202		-1.382		-89.984		Yes		8/22/25 14:16		RTK		30		1.15		0.58		0.99		9255		-1339		Yes		RTK		3D		1.6		4072		1.913		0.672		0.787		4.056				WME		Water Meter

		UP3235		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3235		8/22/25 14:16		3725'22.2755"N		796'23.2919"W		50.733		508791.67		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		25.023		100		-3		13		10.501		-0.934		-45.009		Yes		8/22/25 14:16		RTK		30		1.15		0.58		0.99		9266		-1339		Yes		RTK		3D		0.6		4072		2.058		0.948		0.945		4.531				WME		Water Meter

		UP3236		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3236		8/22/25 14:19		3725'21.1515"N		796'23.5113"W		115.391		508907.061		0		UNKNOWN		335		32768		CLASSIC		OMNI PEAK		140		96.315		100		-6		9		8.812		3.378		-53.199		Yes		8/22/25 14:19		RTK		30		1.14		0.59		0.98		9170		-1339		Yes		RTK		3D		0.8		4072		1.157		0.85		0.906		2.873				WME		Water Meter

		UP3237		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3237		8/22/25 14:20		3725'19.7729"N		796'23.5050"W		139.859		509046.919		0		UNKNOWN		18		32768		CLASSIC		OMNI PEAK		140		61.765		100		0		11		10.436		-0.049		-52.962		Yes		8/22/25 14:20		RTK		31		1.14		0.59		0.98		9140		-1339		Yes		RTK		3D		1.4		4072		1.512		0.948		1.181		3.568				WME		Water Meter

		UP3238		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3238		8/22/25 14:20		3725'19.6185"N		796'24.5964"W		89.315		509136.234		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		38.618		100		-3		11		8.451		-0.964		-37.347		Yes		8/22/25 14:20		RTK		31		1.14		0.59		0.98		9076		-1339		Yes		RTK		3D		1		4072		3.215		1.64		1.181		7.219				WME		Water Meter

		UP3239		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3239		8/22/25 14:21		3725'18.3877"N		796'25.4648"W		143.13		509279.365		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		28.71		100		1		12		17.366		3.16		32.587		Yes		8/22/25 14:21		RTK		30		1.14		0.59		0.97		9031		-1339		Yes		RTK		3D		1.2		4072		0.512		0.394		0.551		1.291				WME		Water Meter

		UP3240		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3240		8/22/25 14:21		3725'18.7273"N		796'26.0040"W		55.444		509334.809		0		UNKNOWN		16		32768		CLASSIC		OMNI PEAK		140		100		100		14		9		5.184		-2.95		-16.902		Yes		8/22/25 14:21		RTK		31		1.13		0.59		0.97		9002		-1339		Yes		RTK		3D		1.2		4072		0.672		0.472		0.63		1.643				WME		Water Meter

		UP3241		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3241		8/22/25 14:24		3725'16.9165"N		796'28.0521"W		246.936		509581.744		0		UNKNOWN		30		32768		CLASSIC		OMNI PEAK		140		91.954		99		5		6		12.599		-2.19		-14.372		Yes		8/22/25 14:24		RTK		31		1.13		0.59		0.96		8985		-1339		Yes		RTK		3D		1		4072		0.512		0.378		0.591		1.272				WME		Water Meter

		UP3242		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3242		8/22/25 14:25		3725'16.1782"N		796'28.4902"W		82.803		509664.548		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		52.091		99		2		9		7.131		-0.816		11.045		Yes		8/22/25 14:25		RTK		29		1.11		0.57		0.95		8946		-1339		Yes		RTK		3D		1		4072		0.85		0.551		0.866		2.027				WME		Water Meter

		UP3243		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3243		8/22/25 14:25		3725'15.1237"N		796'29.0110"W		114.907		509779.455		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		17.294		99		0		11		7.904		-5.528		-58.444		Yes		8/22/25 14:25		RTK		28		1.14		0.59		0.98		8852		-1339		Yes		RTK		3D		0.8		4072		1.27		1.157		0.906		3.437				WME		Water Meter

		UP3244		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3244		8/22/25 14:27		3725'12.9923"N		796'29.8715"W		227.077		510006.532		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		40.048		99		2		8		12.858		-0.829		7.727		Yes		8/22/25 14:27		FLOAT RTK		30		1.14		0.59		0.98		8753		-1339		Yes		FLOAT RTK		3D		7.4		4072		10.123		7.546		2.008		25.252				WME		Water Meter

		UP3245		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3245		8/22/25 14:28		3725'13.1948"N		796'28.9588"W		76.353		510082.884		0		UNKNOWN		7		32768		CLASSIC		OMNI PEAK		140		90.801		99		-2		11		7.106		-3.693		1.553		Yes		8/22/25 14:28		RTK		28		1.39		0.63		1.24		8887		-1339		Yes		RTK		3D		2.4		4072		1.157		0.672		0.984		2.677				WME		Water Meter

		UP3246		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3246		8/22/25 14:31		3725'11.6241"N		796'30.4396"W		199.06		510281.945		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		29.951		99		-13		6		7.216		0.121		69.12		Yes		8/22/25 14:31		RTK		30		1.12		0.57		0.97		8777		-1339		Yes		RTK		3D		1.4		4072		1.774		0.85		0.945		3.935				WME		Water Meter

		UP3247		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3247		8/22/25 14:32		3725'10.1961"N		796'30.1947"W		146.217		510428.161		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		37.531		99		-48		11		9.897		1.772		22.297		Yes		8/22/25 14:32		RTK		29		1.12		0.57		0.97		8887		-1339		Yes		RTK		3D		0.6		4072		1.05		0.591		0.709		2.409				WME		Water Meter

		UP3248		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3248		8/22/25 14:33		3725'9.9144"N		796'31.0873"W		77.382		510505.544		0		UNKNOWN		211		32768		CLASSIC		OMNI PEAK		140		28.657		98		-97		12		9.4		0.001		-43.389		Yes		8/22/25 14:33		RTK		30		1.12		0.57		0.96		8843		-1339		Yes		RTK		3D		1.4		4072		0.591		0.433		0.472		1.465				WME		Water Meter

		UP3249		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3249		8/22/25 14:33		3725'8.8158"N		796'31.3488"W		113.433		510618.976		0		UNKNOWN		11		32768		CLASSIC		OMNI PEAK		140		100		99		0		11		9.373		0.599		-67.223		Yes		8/22/25 14:33		RTK		30		1.11		0.56		0.96		8800		-1339		Yes		RTK		3D		1.4		4072		0.85		0.512		0.748		1.985				WME		Water Meter

		UP3250		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3250		8/22/25 14:34		3725'8.2505"N		796'31.2346"W		58.078		510677.054		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		19.46		98		0		9		11.552		-2.049		-10.483		Yes		8/22/25 14:34		RTK		31		1.04		0.54		0.89		8806		-1339		Yes		RTK		3D		1		4072		3.79		1.913		1.181		8.491				WME		Water Meter

		UP3251		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3251		8/22/25 14:35		3725'10.1965"N		796'30.1951"W		214.451		510891.505		0		UNKNOWN		14		32768		CLASSIC		OMNI PEAK		140		100		98		0		13		10.78		-3.237		-11.736		Yes		8/22/25 14:35		RTK		31		1.04		0.54		0.89		8884		-1339		Yes		RTK		3D		0.8		4072		0.948		0.551		0.591		2.192				WME		Water Meter

		UP3252		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3252		8/22/25 14:39		3725'37.9232"N		796'10.3517"W		3235.479		514126.984		0		UNKNOWN		13		32768		CLASSIC		OMNI PEAK		140		100		98		9		10		7.293		-3.952		-26.95		Yes		8/22/25 14:39		RTK		32		1.02		0.52		0.87		9939		-1339		Yes		RTK		3D		0.8		4072		1.64		0.759		0.827		3.615				WME		Water Meter

		UP3253		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3253		8/22/25 14:40		3725'37.3969"N		796'10.6733"W		59.347		514186.331		0		UNKNOWN		16		32768		CLASSIC		OMNI PEAK		140		70.643		96		1		10		11.816		-0.037		-74.429		Yes		8/22/25 14:40		RTK		32		1.04		0.55		0.89		9980		-1339		Yes		RTK		3D		1.4		4072		0.85		0.551		0.591		2.027				WME		Water Meter

		UP3254		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3254		8/22/25 14:41		3725'35.9609"N		796'8.8117"W		209.082		514395.413		0		UNKNOWN		14		32768		CLASSIC		OMNI PEAK		140		100		97		1		9		12.52		0.627		-88.265		Yes		8/22/25 14:41		RTK		31		1.02		0.52		0.88		10059		-1339		Yes		RTK		3D		1.4		4072		0.759		0.472		0.63		1.787				WME		Water Meter

		UP3255		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3255		8/22/25 14:43		3725'34.6288"N		796'8.6833"W		135.54		514530.953		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		38.122		96		-2		13		13.752		-5.363		79.158		Yes		8/22/25 14:43		RTK		32		1.11		0.55		0.96		10138		-1339		Yes		RTK		3D		1.2		4072		0.672		0.433		0.551		1.599				WME		Water Meter

		UP3256		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3256		8/22/25 14:43		3725'33.8122"N		796'8.2868"W		88.788		514619.741		0		UNKNOWN		25		32768		CLASSIC		OMNI PEAK		140		64.082		96		6		7		10.361		-2.728		-79.9		Yes		8/22/25 14:43		RTK		32		1.03		0.52		0.89		10177		-1339		Yes		RTK		3D		1.2		4072		0.759		0.472		0.591		1.787				WME		Water Meter

		UP3257		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3257		8/22/25 14:43		3725'33.5208"N		796'8.1007"W		33.151		514652.892		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		38.11		96		0		10		13.928		3.01		-36.588		Yes		8/22/25 14:43		RTK		31		1.11		0.55		0.96		10197		-1339		Yes		RTK		3D		0.6		4072		1.157		0.672		0.748		2.677				WME		Water Meter

		UP3258		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3258		8/26/25 7:26		3730'31.7155"N		7911'23.4145"W		0		514652.892		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		140		100		100		-1		12		7.102		1.46		3.722		Yes		8/26/25 7:26		RTK		30		1.08		0.56		0.92		10144		-1337		Yes		RTK		3D		0.6		3314		0.672		0.512		0.512		1.689				WME		Water Meter

		UP3259		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3259		8/26/25 7:26		3730'32.5098"N		7911'22.6363"W		102.058		514754.949		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		8.256		100		0		13		8.679		-6.782		-88.722		Yes		8/26/25 7:26		RTK		32		1.02		0.53		0.87		10101		-1337		Yes		RTK		3D		1		3314		0.759		0.512		0.512		1.83				WME		Water Meter

		UP3260		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3260		8/26/25 7:28		3730'33.1928"N		7911'21.7577"W		99		514853.95		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		7.01		100		32		12		12.119		-1.6		39.281		Yes		8/26/25 7:28		RTK		32		1.02		0.53		0.87		10073		-1337		Yes		RTK		3D		0.8		3314		1.512		0.759		0.748		3.383				WME		Water Meter

		UP3261		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3261		8/26/25 7:29		3730'33.8531"N		7911'20.5387"W		118.794		514972.744		0		UNKNOWN		17		32768		CLASSIC		OMNI PEAK		140		100		100		-1		11		4.362		-4.065		-10.27		Yes		8/26/25 7:29		RTK		32		1.02		0.52		0.87		10153		-1337		Yes		RTK		3D		1.4		3314		0.948		0.472		0.472		2.118				WME		Water Meter

		UP3262		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3262		8/26/25 7:30		3730'34.1781"N		7911'18.3069"W		182.602		515155.346		0.001		UNKNOWN		10042		32768		CLASSIC		OMNI PEAK		140		92.7		100		1		10		13.314		-4.916		12.31		Yes		8/26/25 7:31		RTK		31		1.02		0.52		0.87		10097		-1337		Yes		RTK		3D		0.6		3314		0.512		0.386		0.433		1.282				WME		Water Meter

		UP3263		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3263		8/26/25 7:32		3730'31.8191"N		7911'18.4065"W		239.46		515394.806		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		1		13		14.345		-2.027		43.2		Yes		8/26/25 7:32		RTK		32		0.97		0.51		0.83		9798		-1337		Yes		RTK		3D		0.6		3314		0.386		0.295		0.394		0.972				WME		Water Meter

		UP3264		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3264		8/26/25 7:34		3730'31.0808"N		7911'17.2972"W		116.533		515511.339		0		UNKNOWN		5		32768		CLASSIC		OMNI PEAK		140		100		100		-9		10		9.866		0.449		33.494		Yes		8/26/25 7:34		RTK		32		0.97		0.51		0.83		9750		-1337		Yes		RTK		3D		1.4		3314		0.433		0.343		0.394		1.104				WME		Water Meter

		UP3265		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3265		8/26/25 7:41		3730'33.3146"N		7911'15.5925"W		264.914		515776.253		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		6.917		100		15		9		12.081		-6.92		-85.796		Yes		8/26/25 7:41		RTK		32		0.89		0.48		0.76		10030		-1337		Yes		RTK		3D		0.6		3314		0.472		0.358		0.394		1.186				WME		Water Meter

		UP3266		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3266		8/26/25 7:42		3730'32.9351"N		7911'14.8128"W		73.615		515849.868		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		46.43		100		10		5		6.348		-1.551		-9.495		Yes		8/26/25 7:42		RTK		32		0.89		0.48		0.76		10002		-1337		Yes		RTK		3D		1.2		3314		0.85		0.472		0.472		1.946				WME		Water Meter

		UP3267		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3267		8/26/25 7:42		3730'32.4620"N		7911'13.6979"W		101.757		515951.624		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		-10		10		12.762		0.977		-13.83		Yes		8/26/25 7:42		RTK		32		0.93		0.5		0.78		9994		-1337		Yes		RTK		3D		1.4		3314		0.472		0.343		0.394		1.167				WME		Water Meter

		UP3268		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3268		8/26/25 7:44		3730'32.1140"N		7911'12.9975"W		66.509		516018.133		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		14.506		100		-6		8		8.45		-0.491		86.26		Yes		8/26/25 7:44		RTK		32		0.93		0.5		0.79		9989		-1337		Yes		RTK		3D		1.8		3314		1.157		0.759		0.63		2.768				WME		Water Meter

		UP3269		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3269		8/26/25 7:45		3730'32.5548"N		7911'12.3948"W		65.971		516084.104		0		UNKNOWN		14		32768		CLASSIC		OMNI PEAK		140		100		100		9		8		13.938		-3.276		-10.537		Yes		8/26/25 7:46		RTK		32		1.02		0.54		0.86		10007		-1337		Yes		RTK		3D		1.2		3314		0.394		0.276		0.394		0.961				WME		Water Meter

		UP3270		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3270		8/26/25 7:47		3730'29.7631"N		7911'13.7303"W		302.928		516387.033		0		UNKNOWN		141		32768		CLASSIC		OMNI PEAK		140		54.167		100		126		10		11.845		-6.511		-74.894		Yes		8/26/25 7:47		RTK		32		0.96		0.51		0.81		9724		-1337		Yes		RTK		3D		0.6		3314		0.374		0.268		0.394		0.92				WME		Water Meter

		UP3271		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3271		8/26/25 7:48		3730'29.0914"N		7911'13.5256"W		70.114		516457.146		0		UNKNOWN		11		32768		CLASSIC		OMNI PEAK		140		100		100		0		12		9.404		0.62		-0.827		Yes		8/26/25 7:48		RTK		32		0.95		0.51		0.81		9644		-1337		Yes		RTK		3D		1.2		3314		0.85		0.433		0.472		1.909				WME		Water Meter

		UP3272		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3272		8/26/25 7:49		3730'28.9402"N		7911'12.4178"W		90.464		516547.61		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		12.928		100		7		10		7.31		-3.391		-72.746		Yes		8/26/25 7:49		RTK		31		0.95		0.51		0.81		9710		-1337		Yes		RTK		3D		1.2		3314		0.948		0.551		0.512		2.192				WME		Water Meter

		UP3273		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3273		8/26/25 7:49		3730'29.7573"N		7911'12.1283"W		86.109		516633.719		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		140		100		100		-4		11		11.128		1.763		-6.748		Yes		8/26/25 7:49		RTK		32		0.97		0.51		0.83		9800		-1337		Yes		RTK		3D		1.4		3314		0.948		0.551		0.512		2.192				WME		Water Meter

		UP3274		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3274		8/26/25 7:50		3730'30.8490"N		7911'11.5305"W		120.747		516754.466		0		UNKNOWN		16		32768		CLASSIC		OMNI PEAK		140		100		100		22		10		9.859		2.471		-69.999		Yes		8/26/25 7:50		RTK		32		0.95		0.51		0.8		9929		-1337		Yes		RTK		3D		1.4		3314		0.672		0.472		0.433		1.643				WME		Water Meter

		UP3275		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3275		8/26/25 7:52		3730'30.1708"N		7911'8.7020"W		237.796		516992.262		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		14.687		100		0		11		7.792		-0.928		-51.761		Yes		8/26/25 7:52		RTK		32		0.9		0.46		0.77		9997		-1337		Yes		RTK		3D		1.2		3314		0.512		0.433		0.433		1.341				WME		Water Meter

		UP3276		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		3276		8/26/25 7:53		3730'29.4714"N		7911'7.4589"W		122.647		517114.909		0		UNKNOWN		119		32768		CLASSIC		OMNI PEAK		140		26.714		100		6		8		12.024		-1.638		24.563		Yes		8/26/25 7:53		RTK		32		0.9		0.46		0.77		9975		-1337		Yes		RTK		3D		1.8		3314		0.948		0.378		0.472		2.04				WME		Water Meter

		UP3277		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3277		8/26/25 7:53		3730'29.4707"N		7911'7.4602"W		0.122		517115.031		0		UNKNOWN		32		32768		CLASSIC		OMNI PEAK		140		63.089		100		-1		7		13.41		-0.474		32.123		Yes		8/26/25 7:53		RTK		32		0.9		0.46		0.77		9972		-1337		Yes		RTK		3D		1.6		3314		0.512		0.394		0.394		1.291				WME		Water Meter

		UP3278		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3278		8/26/25 7:53		3730'30.0128"N		7911'6.4637"W		97.24		517212.271		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		73.263		100		1		11		11.241		0.745		-39.092		Yes		8/26/25 7:53		RTK		32		0.98		0.49		0.85		9978		-1337		Yes		RTK		3D		0.8		3314		0.759		0.512		0.512		1.83				WME		Water Meter

		UP3279		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3279		8/26/25 7:54		3730'30.5826"N		7911'8.1663"W		148.718		517360.99		0		UNKNOWN		67		32768		CLASSIC		OMNI PEAK		140		60.052		100		3		6		9.271		-0.326		-0.713		Yes		8/26/25 7:54		RTK		32		0.9		0.46		0.77		9983		-1337		Yes		RTK		3D		0.8		3314		0.85		0.512		0.551		1.985				WME		Water Meter

		UP3280		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3280		8/26/25 7:55		3730'31.0348"N		7911'9.0733"W		86.204		517447.194		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		52.968		100		0		10		8.294		0.796		-3.504		Yes		8/26/25 7:55		RTK		32		0.96		0.5		0.83		9995		-1337		Yes		RTK		3D		0.8		3314		0.591		0.472		0.433		1.513				WME		Water Meter

		UP3281		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3281		8/26/25 7:55		3730'31.5165"N		7911'10.0468"W		92.339		517539.533		0		UNKNOWN		1		32768		CLASSIC		OMNI PEAK		140		100		100		0		8		22.971		-2.977		-70.016		Yes		8/26/25 7:55		RTK		32		0.94		0.48		0.81		10012		-1337		Yes		RTK		3D		0.6		3314		0.433		0.35		0.394		1.114				WME		Water Meter

		UP3282		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3282		8/26/25 7:59		3730'33.4681"N		7911'10.0706"W		197.999		517737.532		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		23.759		100		0		12		12.531		-1.992		-11.441		Yes		8/26/25 7:59		RTK		32		0.94		0.48		0.81		9962		-1337		Yes		RTK		3D		2		3314		0.374		0.343		0.394		1.014				WME		Water Meter

		UP3283		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3283		8/26/25 7:59		3730'34.2049"N		7911'11.0701"W		109.811		517847.344		0		UNKNOWN		5		32768		CLASSIC		OMNI PEAK		140		100		100		5		5		10.77		0.009		-72.756		Yes		8/26/25 7:59		RTK		32		0.9		0.46		0.77		9925		-1337		Yes		RTK		3D		0.6		3314		0.358		0.35		0.394		1.002				WME		Water Meter

		UP3284		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3284		8/26/25 8:00		3730'34.7306"N		7911'10.2889"W		82.444		517929.788		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		89.307		100		0		10		8.79		1.721		-1.961		Yes		8/26/25 8:00		RTK		32		0.9		0.46		0.77		9842		-1337		Yes		RTK		3D		0.8		3314		0.948		0.551		0.551		2.192				WME		Water Meter

		UP3285		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3285		8/26/25 8:03		3730'33.0155"N		7911'13.5027"W		311.717		518241.505		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		-1		10		17.76		-3.573		26.737		Yes		8/26/25 8:03		RTK		32		0.9		0.46		0.77		10015		-1337		Yes		RTK		3D		1		3314		0.512		0.394		0.394		1.291				WME		Water Meter

		UP3286		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3286		8/26/25 8:04		3730'33.8457"N		7911'15.0745"W		151.97		518393.475		0		UNKNOWN		5		32768		CLASSIC		OMNI PEAK		140		100		100		-2		11		12.235		0.834		-64.201		Yes		8/26/25 8:04		RTK		32		0.9		0.46		0.77		10074		-1337		Yes		RTK		3D		1.4		3314		0.374		0.311		0.394		0.973				WME		Water Meter

		UP3287		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3287		8/26/25 8:06		3730'34.4296"N		7911'16.7056"W		144.01		518537.485		0		UNKNOWN		265		32768		CLASSIC		OMNI PEAK		140		61.863		100		-6		11		13.818		2.473		47.317		Yes		8/26/25 8:06		RTK		32		0.89		0.46		0.77		10058		-1337		Yes		RTK		3D		0.6		3314		0.323		0.276		0.394		0.849				WME		Water Meter

		UP3288		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3288		8/26/25 8:08		3730'34.5084"N		7911'16.7358"W		8.358		518545.843		0		UNKNOWN		111		32768		CLASSIC		OMNI PEAK		140		42.135		100		-19		8		17.725		-1.366		21.843		Yes		8/26/25 8:08		RTK		32		0.89		0.46		0.76		10059		-1337		Yes		RTK		3D		1.4		3314		0.433		0.374		0.394		1.144				WME		Water Meter

		UP3289		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3289		8/26/25 8:08		3730'34.5233"N		7911'16.7456"W		1.707		518547.549		0		UNKNOWN		7		32768		CLASSIC		OMNI PEAK		140		100		100		2		8		15.733		0.342		-76.813		Yes		8/26/25 8:08		RTK		32		0.94		0.47		0.81		10055		-1337		Yes		RTK		3D		1.4		3314		0.512		0.433		0.433		1.341				WME		Water Meter

		UP3290		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3290		8/26/25 8:08		3730'34.5446"N		7911'16.7478"W		2.167		518549.716		0		UNKNOWN		10		32768		CLASSIC		OMNI PEAK		140		100		100		0		11		19.175		-0.273		-13.257		Yes		8/26/25 8:08		RTK		32		0.94		0.47		0.81		10056		-1337		Yes		RTK		3D		2.2		3314		0.433		0.382		0.394		1.155				WME		Water Meter

		UP3291		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3291		8/26/25 8:08		3730'34.7839"N		7911'17.9389"W		98.884		518648.6		0		UNKNOWN		28		32768		CLASSIC		OMNI PEAK		140		58.127		100		21		6		21.334		-3.953		71.113		Yes		8/26/25 8:09		RTK		32		0.89		0.46		0.76		10139		-1337		Yes		RTK		3D		1		3314		0.394		0.358		0.394		1.065				WME		Water Meter

		UP3292		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3292		8/26/25 8:13		3730'34.7477"N		7911'19.1311"W		96.009		518744.609		0		UNKNOWN		5878		32768		CLASSIC		OMNI PEAK		140		45.843		100		14		7		12.534		-0.748		-43.076		Yes		8/26/25 8:13		RTK		32		0.93		0.47		0.8		10167		-1337		Yes		RTK		3D		1.6		3314		0.672		0.551		0.512		1.738				WME		Water Meter

		UP3293		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3293		8/26/25 8:17		3730'38.4627"N		7911'43.2971"W		1980.947		520725.557		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		46.623		100		0		13		13.153		1.463		-62.865		Yes		8/26/25 8:17		RTK		32		0.95		0.48		0.82		10477		-1337		Yes		RTK		3D		1.6		3314		0.759		0.551		0.551		1.875				WME		Water Meter

		UP3294		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3294		8/26/25 8:18		3730'36.6293"N		7911'42.6421"W		193.329		520918.886		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		87.964		100		-17		10		13.327		-1.176		82.448		Yes		8/26/25 8:18		RTK		32		1.02		0.51		0.88		10502		-1337		Yes		RTK		3D		1.2		3314		0.672		0.551		0.591		1.738				WME		Water Meter

		UP3295		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3295		8/26/25 8:19		3730'36.6072"N		7911'42.6141"W		3.179		520922.065		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		5.618		100		12		5		9.526		0.653		-42.32		Yes		8/26/25 8:19		RTK		32		1.03		0.53		0.88		10501		-1337		Yes		RTK		3D		1.2		3314		0.948		0.672		0.591		2.323				WME		Water Meter

		UP3296		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3296		8/26/25 8:20		3730'36.2501"N		7911'42.6281"W		36.248		520958.313		0		UNKNOWN		98		32768		CLASSIC		OMNI PEAK		140		100		100		-1		12		17.786		-4.637		51.585		Yes		8/26/25 8:20		RTK		32		0.94		0.49		0.81		10495		-1337		Yes		RTK		3D		1.4		3314		0.472		0.394		0.433		1.23				WME		Water Meter

		UP3297		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3297		8/26/25 8:22		3730'34.9056"N		7911'42.3903"W		137.733		521096.046		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		100		100		3		10		12.117		1.526		-80.077		Yes		8/26/25 8:22		RTK		32		1		0.52		0.85		10519		-1337		Yes		RTK		3D		1.4		3314		1.05		0.672		0.669		2.493				WME		Water Meter

		UP3298		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3298		8/26/25 8:24		3730'31.6642"N		7911'42.1873"W		329.249		521425.295		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		76.714		100		0		11		14.218		1.502		-5.194		Yes		8/26/25 8:24		RTK		32		0.94		0.5		0.8		10526		-1337		Yes		RTK		3D		0.8		3314		1.388		0.85		0.669		3.256				WME		Water Meter

		UP3299		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3299		8/26/25 8:25		3730'30.3295"N		7911'42.9495"W		148.655		521573.95		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		32.045		100		9		5		13.165		0.478		-69.014		Yes		8/26/25 8:25		RTK		32		0.92		0.49		0.79		10512		-1337		Yes		RTK		3D		1.2		3314		0.591		0.433		0.472		1.465				WME		Water Meter

		UP3300		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3300		8/26/25 8:27		3730'28.9056"N		7911'44.9813"W		218.189		521792.139		0		UNKNOWN		65		32768		CLASSIC		OMNI PEAK		140		100		100		-2		9		18.307		-3.336		23.748		Yes		8/26/25 8:27		RTK		31		1.07		0.54		0.93		10451		-1337		Yes		RTK		3D		1.2		3314		0.394		0.319		0.394		1.013				WME		Water Meter

		UP3301		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3301		8/26/25 8:29		3730'28.5567"N		7911'46.5853"W		133.844		521925.983		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		31.964		100		-2		12		10.366		1.252		-76.314		Yes		8/26/25 8:29		RTK		32		1.08		0.56		0.93		10368		-1337		Yes		RTK		3D		1.6		3314		1.157		0.85		0.591		2.873				WME		Water Meter

		UP3302		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3302		8/26/25 8:29		3730'28.5415"N		7911'46.6079"W		2.391		521928.374		0		UNKNOWN		18		32768		CLASSIC		OMNI PEAK		140		100		100		0		5		15.378		-2.514		54.762		Yes		8/26/25 8:29		RTK		32		1.07		0.54		0.92		10368		-1337		Yes		RTK		3D		1.2		3314		0.672		0.591		0.512		1.789				WME		Water Meter

		UP3303		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3303		8/26/25 8:30		3730'28.4451"N		7911'46.5866"W		9.93		521938.305		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		4.643		100		8		13		10.847		-1.661		33.449		Yes		8/26/25 8:30		FLOAT RTK		32		1.14		0.58		0.98		10374		-1337		Yes		FLOAT RTK		3D		1.8		3314		4.417		3.497		0.709		11.268				WME		Water Meter

		UP3304		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3304		8/26/25 8:30		3730'28.4599"N		7911'46.5903"W		1.533		521939.838		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		9		11		15.84		-1.228		12.992		Yes		8/26/25 8:30		RTK		32		1.06		0.54		0.92		10376		-1337		Yes		RTK		3D		0.8		3314		0.551		0.472		0.472		1.452				WME		Water Meter

		UP3305		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3305		8/26/25 8:31		3730'27.9808"N		7911'46.5550"W		48.688		521988.526		0		UNKNOWN		32		32768		CLASSIC		OMNI PEAK		140		84.032		100		2		6		14.107		-2.312		18.644		Yes		8/26/25 8:31		RTK		32		1.11		0.59		0.93		10355		-1337		Yes		RTK		3D		1.6		3314		0.85		0.394		0.433		1.874				WME		Water Meter

		UP3306		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3306		8/26/25 8:31		3730'28.0287"N		7911'46.5571"W		4.868		521993.394		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		5.636		100		19		10		11.169		-2.847		39.1		Yes		8/26/25 8:31		RTK		32		1.06		0.54		0.91		10356		-1337		Yes		RTK		3D		1.4		3314		0.85		0.551		0.551		2.027				WME		Water Meter

		UP3307		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3307		8/26/25 8:32		3730'28.1379"N		7911'46.4001"W		16.803		522010.196		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		15.061		100		2		8		12.094		-0.758		55.421		Yes		8/26/25 8:32		RTK		32		1.07		0.56		0.92		10370		-1337		Yes		RTK		3D		0.8		3314		0.551		0.39		0.433		1.35				WME		Water Meter

		UP3308		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3308		8/26/25 8:32		3730'28.1439"N		7911'46.3675"W		2.687		522012.884		0		UNKNOWN		15		32768		CLASSIC		OMNI PEAK		140		100		100		3		8		15.515		-0.874		33.327		Yes		8/26/25 8:32		RTK		32		1.06		0.54		0.91		10373		-1337		Yes		RTK		3D		2		3314		0.512		0.382		0.394		1.277				WME		Water Meter

		UP3309		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3309		8/26/25 8:33		3730'28.4052"N		7911'44.8075"W		128.321		522141.205		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		0		9		12.298		0.89		-19.591		Yes		8/26/25 8:33		RTK		32		1.05		0.54		0.9		10438		-1337		Yes		RTK		3D		1.2		3314		0.591		0.512		0.512		1.563				WME		Water Meter

		UP3310		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3310		8/26/25 8:35		3730'28.8766"N		7911'43.6245"W		106.54		522247.745		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		140		100		100		3		9		14.18		-2.183		-7.947		Yes		8/26/25 8:35		RTK		32		1.2		0.59		1.04		10466		-1337		Yes		RTK		3D		0.8		3314		0.591		0.472		0.472		1.513				WME		Water Meter

		UP3311		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3311		8/26/25 8:37		3730'31.2207"N		7911'41.4800"W		293.828		522541.573		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		140		100		100		0		12		13.548		-2.516		-5.362		Yes		8/26/25 8:37		RTK		32		1.16		0.57		1.01		10517		-1337		Yes		RTK		3D		1.6		3314		0.672		0.433		0.394		1.599				WME		Water Meter

		UP3312		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3312		8/26/25 8:39		3730'33.3586"N		7911'41.4943"W		216.893		522758.466		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		140		77.094		100		0		8		13.22		-1.017		-67.933		Yes		8/26/25 8:39		RTK		31		1.09		0.55		0.94		10574		-1337		Yes		RTK		3D		0.6		3314		0.591		0.472		0.472		1.513				WME		Water Meter

		UP3313		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3313		8/26/25 8:42		3730'35.4479"N		7911'41.8068"W		213.448		522971.915		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		39.664		100		-5		7		13.863		-2.396		-84.751		Yes		8/26/25 8:42		RTK		32		1.35		0.65		1.19		10522		-1337		Yes		RTK		3D		1.8		3314		0.472		0.472		0.433		1.336				WME		Water Meter

		UP3314		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3314		8/26/25 8:43		3730'38.2982"N		7911'42.5672"W		295.573		523267.488		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		6.165		100		7		11		4.936		0.176		35.892		Yes		8/26/25 8:43		RTK		32		1.14		0.58		0.98		10490		-1337		Yes		RTK		3D		18.2		3314		2.858		1.388		0.906		6.355				WME		Water Meter

		UP3315		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		3315		8/26/25 8:44		3730'39.1977"N		7911'42.8443"W		93.938		523361.425		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		1		7		11.137		0.282		-18.711		Yes		8/26/25 8:44		DGPS SPS VALID		32		1.23		0.57		1.09		10425		-1337		Yes		DIFFERENTIAL		3D		0		131		17.858		14.988		18.504		46.629				WME		Water Meter

		UP3316		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		3316		8/26/25 8:44		3730'39.1919"N		7911'42.8432"W		0.595		523362.02		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		87.809		100		-1		11		13.799		-1.324		-8.857		Yes		8/26/25 8:44		DGPS SPS VALID		32		1.19		0.56		1.06		10429		-1337		Yes		DIFFERENTIAL		3D		0		131		17.539		14.031		18.504		44.923				WME		Water Meter

		UP3317		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		3317		8/26/25 8:44		3730'39.1868"N		7911'42.8406"W		0.555		523362.575		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		39.514		100		-3		13		13.916		0.444		13.599		Yes		8/26/25 8:44		DGPS SPS VALID		32		1.2		0.56		1.06		10441		-1337		Yes		DIFFERENTIAL		3D		0		131		16.902		13.075		19.685		42.737				WME		Water Meter

		UP3318		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		3318		8/26/25 8:45		3730'39.1772"N		7911'42.8532"W		1.409		523363.984		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		58.425		100		0		5		65.307		161.567		20.384		Yes		8/26/25 8:45		DGPS SPS VALID		32		1.05		0.51		0.92		10447		-1337		Yes		DIFFERENTIAL		3D		0		131		17.22		14.031		20.866		44.426				WME		Water Meter

		UP3319		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		3319		8/26/25 8:45		3730'39.1730"N		7911'42.8564"W		0.497		523364.48		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		140		100		100		-1		11		34.135		4.06		88.078		Yes		8/26/25 8:45		DGPS SPS VALID		32		1.04		0.51		0.9		10435		-1337		Yes		DIFFERENTIAL		3D		0		131		17.22		14.35		21.26		44.832				WME		Water Meter

		UP3320		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		3320		8/26/25 8:45		3730'39.1702"N		7911'42.8559"W		0.293		523364.773		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		2.378		100		-2		10		30.997		-4.035		73.243		Yes		8/26/25 8:45		DGPS SPS VALID		32		1.05		0.52		0.91		10440		-1337		Yes		DIFFERENTIAL		3D		0		131		16.583		14.031		20.472		43.445				WME		Water Meter

		UP3321		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		3321		8/26/25 8:45		3730'39.1821"N		7911'42.8247"W		2.79		523367.563		0		UNKNOWN		22		32768		CLASSIC		OMNI PEAK		140		15.235		100		5		8		49.277		8.803		22.515		Yes		8/26/25 8:45		DGPS SPS VALID		32		1.18		0.57		1.04		10456		-1337		Yes		DIFFERENTIAL		3D		0		131		16.583		13.394		20.472		42.632				WME		Water Meter

		UP3322		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		3322		8/26/25 8:45		3730'39.1795"N		7911'42.8245"W		0.272		523367.835		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.247		100		25		4		9.338		0.608		-37.084		Yes		8/26/25 8:45		DGPS SPS VALID		32		1.19		0.57		1.04		10461		-1337		Yes		DIFFERENTIAL		3D		0		131		15.626		12.437		19.685		39.942				WME		Water Meter

		UP3323		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		3323		8/26/25 8:45		3730'39.1825"N		7911'42.8323"W		0.704		523368.539		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.874		100		-2		4		63.564		21.368		5.714		Yes		8/26/25 8:45		DGPS SPS VALID		31		1.07		0.54		0.93		10479		-1337		Yes		DIFFERENTIAL		3D		0		131		16.264		12.118		20.079		40.564				WME		Water Meter

		UP3324		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		3324		8/26/25 8:45		3730'39.1737"N		7911'42.8047"W		2.4		523370.939		0		UNKNOWN		23		32768		CLASSIC		OMNI PEAK		140		7.701		100		28		11		16.864		-0.091		-67.686		Yes		8/26/25 8:45		GPS SPS VALID		32		0.99		0.5		0.85		10355		-1337		Yes		AUTONOMOUS		3D		0		0		108.268		86.614		90.551		277.301				WME		Water Meter

		UP3325		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		3325		8/26/25 8:46		3730'39.1686"N		7911'42.8073"W		0.555		523371.494		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.004		100		28		5		17.515		-0.159		-66.534		Yes		8/26/25 8:46		GPS SPS VALID		32		0.99		0.5		0.85		10405		-1337		Yes		AUTONOMOUS		3D		0		0		82.283		69.291		66.929		215.145				WME		Water Meter

		UP3326		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		3326		8/26/25 8:46		3730'39.1664"N		7911'42.8146"W		0.63		523372.124		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		1.905		100		24		8		12.093		-2.363		-62.414		Yes		8/26/25 8:46		GPS SPS VALID		32		0.99		0.5		0.85		10428		-1337		Yes		AUTONOMOUS		3D		0		0		56.299		42.008		43.307		140.489				WME		Water Meter

		UP3327		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		3327		8/26/25 8:46		3730'39.1778"N		7911'42.8204"W		1.25		523373.375		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		5.891		100		74		8		28.773		-1.05		-75.307		Yes		8/26/25 8:46		GPS SPS VALID		32		0.98		0.5		0.84		10455		-1337		Yes		AUTONOMOUS		3D		0		0		43.307		34.213		37.008		110.381				WME		Water Meter

		UP3328		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		3328		8/26/25 8:46		3730'39.1963"N		7911'42.7927"W		2.917		523376.292		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.191		100		32		3		13.982		-1.125		-62.443		Yes		8/26/25 8:46		GPS SPS VALID		32		0.95		0.49		0.82		10428		-1337		Yes		AUTONOMOUS		3D		0		0		28.583		21.654		23.228		71.717				WME		Water Meter

		UP3329		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		3329		8/26/25 8:47		3730'40.0485"N		7911'43.0649"W		89.19		523465.481		0		UNKNOWN		11		32768		CLASSIC		OMNI PEAK		140		17.187		100		3		9		34.015		3.645		14.956		Yes		8/26/25 8:47		GPS SPS VALID		32		1.06		0.53		0.92		10430		-1337		Yes		AUTONOMOUS		3D		0		0		24.252		23.386		19.291		67.381				WME		Water Meter

		UP3330		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		3330		8/26/25 8:47		3730'40.0521"N		7911'43.0662"W		0.377		523465.858		0		UNKNOWN		415		32768		CLASSIC		OMNI PEAK		140		9.728		100		5		7		27.723		3.096		-45.647		Yes		8/26/25 8:47		GPS SPS VALID		32		1.01		0.52		0.87		10426		-1337		Yes		AUTONOMOUS		3D		0		0		25.551		23.819		20.472		69.863				WME		Water Meter

		UP3331		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		3331		8/26/25 8:48		3730'40.0537"N		7911'43.0503"W		1.292		523467.15		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		27.286		100		-5		10		14.918		2.712		70.721		Yes		8/26/25 8:48		GPS SPS VALID		32		1.01		0.52		0.86		10397		-1337		Yes		AUTONOMOUS		3D		0		0		27.283		25.984		23.228		75.354				WME		Water Meter

		UP3332		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		3332		8/26/25 8:48		3730'40.0528"N		7911'43.0470"W		0.287		523467.436		0		UNKNOWN		1		32768		CLASSIC		OMNI PEAK		140		36.76		100		-5		8		19.024		2.684		77.425		Yes		8/26/25 8:48		GPS SPS VALID		32		1.01		0.52		0.86		10390		-1337		Yes		AUTONOMOUS		3D		0		0		26.85		25.118		22.835		73.535				WME		Water Meter

		UP3333		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		3333		8/26/25 8:48		3730'40.0521"N		7911'43.0449"W		0.176		523467.612		0		UNKNOWN		374		32768		CLASSIC		OMNI PEAK		140		5.432		100		177		9		21.251		2.389		5.842		Yes		8/26/25 8:48		GPS SPS VALID		32		1.01		0.52		0.86		10384		-1337		Yes		AUTONOMOUS		3D		0		0		26.417		24.685		22.441		72.311				WME		Water Meter

		UP3334		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		3334		8/26/25 8:48		3730'40.0547"N		7911'43.0489"W		0.411		523468.023		0		UNKNOWN		9		32768		CLASSIC		OMNI PEAK		140		26.648		100		3		6		8.349		-1.653		33.229		Yes		8/26/25 8:48		GPS SPS VALID		32		1.04		0.52		0.9		10388		-1337		Yes		AUTONOMOUS		3D		0		0		26.417		24.252		22.047		71.723				WME		Water Meter

		UP3335		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		3335		8/26/25 8:48		3730'40.0555"N		7911'43.0551"W		0.507		523468.53		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.378		100		0		11		8.827		1.619		29.981		Yes		8/26/25 8:48		GPS SPS VALID		32		1.01		0.53		0.86		10380		-1337		Yes		AUTONOMOUS		3D		0		0		25.551		22.953		21.654		68.693				WME		Water Meter

		UP3336		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		3336		8/26/25 8:50		3730'42.3143"N		7911'42.1735"W		239.892		523708.422		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0		100		2		11		7.361		0.176		30		Yes		8/26/25 8:50		DGPS SPS VALID		32		1.01		0.52		0.86		10312		-1337		Yes		DIFFERENTIAL		3D		0		133		16.583		13.713		17.323		43.036				WME		Water Meter

		UP3337		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		3337		8/26/25 8:52		3730'43.2231"N		7911'41.2824"W		116.798		523825.22		0		UNKNOWN		45		32768		CLASSIC		OMNI PEAK		140		10.998		100		9		12		12.034		-1.763		35.331		Yes		8/26/25 8:52		DGPS SPS VALID		32		1.16		0.57		1.01		10446		-1337		Yes		DIFFERENTIAL		3D		1.2		560		25.831		24.236		22.441		70.841				WME		Water Meter

		UP3338		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3338		8/26/25 8:53		3730'44.1668"N		7911'40.4937"W		114.865		523940.085		0		UNKNOWN		104		32768		CLASSIC		OMNI PEAK		140		20.746		100		0		10		12.346		-4.3		-15.356		Yes		8/26/25 8:53		RTK		31		1.17		0.59		1.01		10556		-1337		Yes		RTK		3D		1		3727		0.433		0.394		0.394		1.171				WME		Water Meter

		UP3339		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3339		8/26/25 8:54		3730'45.3502"N		7911'39.6264"W		138.87		524078.955		0		UNKNOWN		25		32768		CLASSIC		OMNI PEAK		140		100		100		5		3		13.274		0.751		-7.417		Yes		8/26/25 8:54		RTK		32		1.14		0.57		0.99		10677		-1337		Yes		RTK		3D		0.8		3727		0.759		0.591		0.551		1.923				WME		Water Meter

		UP3340		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3340		8/26/25 8:55		3730'46.8243"N		7911'38.8479"W		162.138		524241.092		0		UNKNOWN		36		32768		CLASSIC		OMNI PEAK		140		95.747		100		0		4		14.597		4.052		59.01		Yes		8/26/25 8:55		RTK		32		1.12		0.56		0.96		10802		-1337		Yes		RTK		3D		1.4		3727		0.512		0.472		0.433		1.393				WME		Water Meter

		UP3341		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3341		8/26/25 8:57		3730'49.7280"N		7911'35.3996"W		404.695		524645.788		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		78.15		100		0		12		11.29		-1.63		86.004		Yes		8/26/25 8:57		RTK		32		1.11		0.56		0.95		10580		-1337		Yes		RTK		3D		1		3744		0.512		0.433		0.433		1.341				WME		Water Meter

		UP3342		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3342		8/26/25 8:58		3730'49.7483"N		7911'34.9502"W		36.226		524682.014		0		UNKNOWN		74		32768		CLASSIC		OMNI PEAK		140		47.231		100		8		7		16.59		-0.838		-8.274		Yes		8/26/25 8:58		RTK		32		1.13		0.57		0.97		10567		-1337		Yes		RTK		3D		0.6		3744		0.472		0.433		0.394		1.282				WME		Water Meter

		UP3343		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3343		8/26/25 8:58		3730'50.1193"N		7911'34.8952"W		37.9		524719.913		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		1		4		13.323		0.708		-17.1		Yes		8/26/25 8:58		RTK		32		1.13		0.57		0.97		10566		-1337		Yes		RTK		3D		1		3744		1.512		1.05		0.827		3.681				WME		Water Meter

		UP3344		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3344		8/26/25 9:09		3729'36.4694"N		7910'41.3380"W		0		524719.913		0		UNKNOWN		69		32768		CLASSIC		OMNI PEAK		140		98.772		100		3		9		12.379		2.246		-42.417		Yes		8/26/25 9:09		RTK		32		1.11		0.58		0.95		9245		-1337		Yes		RTK		3D		1.4		3744		1.05		0.948		0.63		2.828				WME		Water Meter

		UP3345		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3345		8/26/25 9:12		3729'33.3921"N		7910'42.2031"W		319.869		525039.782		0		UNKNOWN		36		32768		CLASSIC		OMNI PEAK		140		58.854		100		1		10		18.273		-0.722		36.393		Yes		8/26/25 9:12		RTK		32		1.25		0.65		1.07		9172		-1337		Yes		RTK		3D		1.4		3744		1.27		0.759		0.748		2.959				WME		Water Meter

		UP3346		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3346		8/26/25 9:14		3729'23.7556"N		7910'40.9987"W		982.422		526022.204		0		UNKNOWN		10		32768		CLASSIC		OMNI PEAK		140		100		100		-2		12		7.649		-1.944		12.487		Yes		8/26/25 9:14		RTK		32		1.06		0.57		0.89		9244		-1337		Yes		RTK		3D		1.2		3744		0.85		0.551		0.512		2.027				WME		Water Meter

		UP3347		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3347		8/26/25 9:16		3729'19.8399"N		7910'41.1210"W		397.369		526419.573		0		UNKNOWN		9		32768		CLASSIC		OMNI PEAK		140		100		100		7		11		7.592		0.371		44.014		Yes		8/26/25 9:16		RTK		32		1.09		0.59		0.92		9092		-1337		Yes		RTK		3D		0.8		3744		0.948		0.759		0.709		2.427				WME		Water Meter

		UP3348		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3348		8/26/25 9:17		3729'17.7289"N		7910'40.4506"W		220.853		526640.426		0		UNKNOWN		382		32768		CLASSIC		OMNI PEAK		140		17.368		100		15		11		7.657		-0.29		-19.844		Yes		8/26/25 9:17		RTK		32		1.08		0.58		0.9		9139		-1337		Yes		RTK		3D		1.2		3744		1.774		0.948		0.827		4.023				WME		Water Meter

		UP3349		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3349		8/26/25 9:18		3729'16.3266"N		7910'39.5436"W		159.911		526800.338		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		-3		10		17.726		-1.471		83.05		Yes		8/26/25 9:18		RTK		32		1.03		0.57		0.86		9149		-1337		Yes		RTK		3D		0.6		3744		0.591		0.433		0.472		1.465				WME		Water Meter

		UP3350		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3350		8/26/25 9:19		3729'15.4271"N		7910'38.7731"W		110.342		526910.679		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		-1		11		11.406		0.124		26.985		Yes		8/26/25 9:19		RTK		32		1.27		0.67		1.08		9184		-1337		Yes		RTK		3D		0.4		3744		0.759		0.433		0.551		1.747				WME		Water Meter

		UP3351		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3351		8/26/25 9:19		3729'15.5927"N		7910'38.7407"W		17.006		526927.686		0		UNKNOWN		55		32768		CLASSIC		OMNI PEAK		140		63.42		100		0		11		16.232		-4.782		-41.943		Yes		8/26/25 9:19		RTK		32		1.06		0.58		0.89		9200		-1337		Yes		RTK		3D		1		3744		1.05		0.551		0.551		2.372				WME		Water Meter

		UP3352		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3352		8/26/25 9:20		3729'16.6584"N		7910'38.8905"W		108.779		527036.465		0		UNKNOWN		35		32768		CLASSIC		OMNI PEAK		140		100		100		-3		7		14.432		-4.156		84.452		Yes		8/26/25 9:20		RTK		32		1.03		0.59		0.85		9196		-1337		Yes		RTK		3D		0.6		3744		1.388		0.551		0.63		2.988				WME		Water Meter

		UP3353		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3353		8/26/25 9:23		3729'11.7643"N		7910'40.0371"W		505.006		527541.47		0		UNKNOWN		42		32768		CLASSIC		OMNI PEAK		140		100		100		0		13		16.738		-1.725		-63.669		Yes		8/26/25 9:23		RTK		32		0.99		0.56		0.82		9101		-1337		Yes		RTK		3D		1		3744		1.774		0.948		0.787		4.023				WME		Water Meter

		UP3354		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3354		8/26/25 9:25		3729'9.3963"N		7910'41.8317"W		280.333		527821.804		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		22.542		100		-15		5		13.502		-1.469		69.929		Yes		8/26/25 9:25		RTK		32		0.99		0.56		0.81		9115		-1337		Yes		RTK		3D		0.4		3744		1.05		0.948		0.669		2.828				WME		Water Meter

		UP3355		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3355		8/26/25 9:26		3729'7.8016"N		7910'42.1066"W		163.292		527985.096		0		UNKNOWN		37		32768		CLASSIC		OMNI PEAK		140		8.219		100		-1		11		15.769		0.529		54.284		Yes		8/26/25 9:26		RTK		32		1.04		0.58		0.86		9119		-1337		Yes		RTK		3D		1		3744		2.207		1.05		0.787		4.889				WME		Water Meter

		UP3356		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3356		8/26/25 9:27		3729'8.7812"N		7910'41.3429"W		116.862		528101.957		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		2.481		100		10		6		11.069		-4.763		81.94		Yes		8/26/25 9:27		RTK		31		1.03		0.58		0.85		9127		-1337		Yes		RTK		3D		0.4		3744		0.759		0.512		0.472		1.83				WME		Water Meter

		UP3357		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3357		8/26/25 9:30		3729'9.8752"N		7910'39.4182"W		190.588		528292.546		0		UNKNOWN		45		32768		CLASSIC		OMNI PEAK		140		60.538		100		-3		8		16.972		-0.578		-7.126		Yes		8/26/25 9:30		RTK		32		1.09		0.63		0.89		9174		-1337		Yes		RTK		3D		0.8		3744		2.207		0.512		0.591		4.532				WME		Water Meter

		UP3358		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3358		8/26/25 9:32		3729'9.9614"N		7910'36.4828"W		236.466		528529.012		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		26.678		100		0		12		16.314		-2.64		-47.858		Yes		8/26/25 9:32		RTK		32		1.02		0.58		0.84		9046		-1338		Yes		RTK		3D		1.2		3744		0.672		0.512		0.512		1.689				WME		Water Meter

		UP3359		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3359		8/26/25 9:39		3729'9.9116"N		7910'32.5046"W		320.286		528849.298		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		9.657		100		11		7		13.957		1.762		6.303		Yes		8/26/25 9:39		RTK		32		1		0.59		0.81		8928		-1338		Yes		RTK		3D		1.2		3744		0.551		0.394		0.394		1.355				WME		Water Meter

		UP3360		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3360		8/26/25 9:40		3729'9.3343"N		7910'31.0435"W		131.398		528980.696		0		UNKNOWN		192		32768		CLASSIC		OMNI PEAK		140		45.542		100		0		10		9.032		-1.682		-77.676		Yes		8/26/25 9:40		RTK		32		1.04		0.61		0.85		8911		-1338		Yes		RTK		3D		1.4		3744		0.512		0.472		0.433		1.393				WME		Water Meter

		UP3361		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3361		8/26/25 9:41		3729'9.0497"N		7910'30.3085"W		65.831		529046.528		0		UNKNOWN		32		32768		CLASSIC		OMNI PEAK		140		100		100		-1		10		13.648		-1.645		-22.429		Yes		8/26/25 9:41		RTK		32		1.06		0.62		0.86		8894		-1338		Yes		RTK		3D		0.8		3744		0.85		0.512		0.551		1.985				WME		Water Meter

		UP3362		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3362		8/26/25 9:45		3729'8.4267"N		7910'28.4821"W		160.037		529206.564		0		UNKNOWN		125		32768		CLASSIC		OMNI PEAK		140		66.94		100		-1		7		10.312		-0.454		19.312		Yes		8/26/25 9:45		RTK		32		1.1		0.65		0.89		8816		-1338		Yes		RTK		3D		1.2		3744		0.512		0.39		0.394		1.287				WME		Water Meter

		UP3363		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3363		8/26/25 9:46		3729'8.3719"N		7910'27.3289"W		92.998		529299.563		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		27.002		100		3		7		11.177		-2.323		-23.831		Yes		8/26/25 9:46		RTK		32		1.05		0.63		0.84		8794		-1338		Yes		RTK		3D		0.6		3744		1.05		0.672		0.63		2.493				WME		Water Meter

		UP3364		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3364		8/26/25 9:47		3729'8.4285"N		7910'26.4019"W		74.845		529374.407		0		UNKNOWN		40		32768		CLASSIC		OMNI PEAK		140		100		100		-3		8		12.25		-0.883		-49.038		Yes		8/26/25 9:47		RTK		32		0.94		0.58		0.74		8766		-1338		Yes		RTK		3D		1		3744		0.591		0.472		0.472		1.513				WME		Water Meter

		UP3365		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3365		8/26/25 9:48		3729'8.6896"N		7910'24.8935"W		124.289		529498.697		0		UNKNOWN		17		32768		CLASSIC		OMNI PEAK		140		100		100		1		7		33.24		-4.628		10.521		Yes		8/26/25 9:48		RTK		32		0.93		0.58		0.74		8717		-1338		Yes		RTK		3D		1		3744		0.85		0.551		0.512		2.027				WME		Water Meter

		UP3366		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3366		8/26/25 9:50		3729'7.5497"N		7910'21.6170"W		288.002		529786.699		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		18.723		100		3		7		10.159		-0.491		-3.22		Yes		8/26/25 9:50		RTK		32		0.99		0.61		0.78		8611		-1338		Yes		RTK		3D		1.4		3744		0.948		0.591		0.551		2.233				WME		Water Meter

		UP3367		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3367		8/26/25 9:51		3729'6.7442"N		7910'20.2204"W		138.986		529925.685		0		UNKNOWN		5		32768		CLASSIC		OMNI PEAK		140		100		100		1		9		14.278		-2.001		24.065		Yes		8/26/25 9:51		RTK		32		1.08		0.66		0.86		8667		-1338		Yes		RTK		3D		0.6		3744		0.85		0.512		0.512		1.985				WME		Water Meter

		UP3368		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3368		8/26/25 9:53		3729'6.0274"N		7910'18.8938"W		129.206		530054.891		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		13		11		13.442		-4.915		46.67		Yes		8/26/25 9:53		RTK		32		0.98		0.61		0.77		8670		-1338		Yes		RTK		3D		1		3744		0.759		0.591		0.512		1.923				WME		Water Meter

		UP3369		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3369		8/26/25 9:53		3729'5.7018"N		7910'18.1394"W		69.128		530124.019		0		UNKNOWN		11		32768		CLASSIC		OMNI PEAK		140		95.995		100		8		8		5.785		-3.475		-43.299		Yes		8/26/25 9:53		RTK		32		0.98		0.61		0.77		8642		-1338		Yes		RTK		3D		1		3744		0.759		0.512		0.472		1.83				WME		Water Meter

		UP3370		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3370		8/26/25 9:54		3729'5.1483"N		7910'17.0704"W		102.757		530226.776		0		UNKNOWN		667		32768		CLASSIC		OMNI PEAK		140		19.914		100		1		8		12.03		0.54		-19.945		Yes		8/26/25 9:54		RTK		32		0.97		0.61		0.76		8625		-1338		Yes		RTK		3D		0.6		3744		0.551		0.433		0.394		1.402				WME		Water Meter

		UP3371		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3371		8/26/25 9:55		3729'4.2989"N		7910'15.5239"W		151.414		530378.19		0		UNKNOWN		77		32768		CLASSIC		OMNI PEAK		140		83.762		100		-8		8		10.358		-0.228		22.699		Yes		8/26/25 9:55		RTK		31		0.97		0.61		0.76		8616		-1338		Yes		RTK		3D		1		3744		0.512		0.433		0.394		1.341				WME		Water Meter

		UP3372		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3372		8/26/25 9:56		3729'4.4075"N		7910'15.4000"W		14.862		530393.051		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		27.245		100		0		7		11.313		0.339		67.025		Yes		8/26/25 9:56		RTK		32		1.03		0.64		0.81		8629		-1338		Yes		RTK		3D		1		3744		1.27		0.948		0.669		3.17				WME		Water Meter

		UP3373		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3373		8/26/25 9:57		3729'4.6890"N		7910'15.0445"W		40.427		530433.478		0		UNKNOWN		16		32768		CLASSIC		OMNI PEAK		140		100		100		5		10		9.028		-0.675		-44.045		Yes		8/26/25 9:57		RTK		32		1.12		0.69		0.89		8637		-1338		Yes		RTK		3D		0.8		3744		0.591		0.512		0.472		1.563				WME		Water Meter

		UP3374		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3374		8/26/25 9:57		3729'4.7167"N		7910'15.0385"W		2.857		530436.335		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		9.032		100		44		6		14.113		-2.142		-44.082		Yes		8/26/25 9:57		RTK		31		1.03		0.64		0.81		8642		-1338		Yes		RTK		3D		0.4		3744		0.512		0.433		0.433		1.341				WME		Water Meter

		UP3375		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3375		8/26/25 9:58		3729'5.1841"N		7910'15.2460"W		50.277		530486.613		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		22.948		100		4		6		13.335		-0.354		-18.005		Yes		8/26/25 9:58		RTK		31		1.12		0.69		0.88		8624		-1338		Yes		RTK		3D		0.8		3744		1.27		1.05		0.669		3.296				WME		Water Meter

		UP3376		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3376		8/26/25 10:00		3729'5.7170"N		7910'16.9444"W		147.027		530633.64		0		UNKNOWN		69		32768		CLASSIC		OMNI PEAK		140		44.076		100		0		11		11.26		-3.016		22.038		Yes		8/26/25 10:00		RTK		31		1.11		0.69		0.88		8623		-1338		Yes		RTK		3D		0.8		3744		1.388		0.85		0.669		3.256				WME		Water Meter

		UP3377		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3377		8/26/25 10:01		3729'6.2373"N		7910'17.9888"W		99.271		530732.911		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		20.842		100		-5		11		7.736		0.717		-57.629		Yes		8/26/25 10:01		RTK		31		1.02		0.64		0.79		8638		-1338		Yes		RTK		3D		0.4		3744		1.64		0.948		0.787		3.789				WME		Water Meter

		UP3378		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3378		8/26/25 10:03		3729'8.2748"N		7910'21.5013"W		350.26		531083.171		0		UNKNOWN		47		32768		CLASSIC		OMNI PEAK		140		67.901		100		-2		12		13.665		-4.106		-40.028		Yes		8/26/25 10:03		RTK		32		1.11		0.69		0.87		8681		-1338		Yes		RTK		3D		1.2		3744		2.207		1.64		0.866		5.5				WME		Water Meter

		UP3379		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3379		8/26/25 10:06		3729'9.2139"N		7910'23.9267"W		217.249		531300.42		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		140		100		100		1		7		18.405		-2.649		-61.975		Yes		8/26/25 10:06		RTK		32		1.19		0.71		0.95		8705		-1338		Yes		RTK		3D		1		3744		1.05		0.85		0.748		2.702				WME		Water Meter

		UP3380		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3380		8/26/25 10:08		3729'9.1315"N		7910'25.7882"W		150.088		531450.508		0		UNKNOWN		87		32768		CLASSIC		OMNI PEAK		140		82.248		100		-23		12		10.213		-2.398		13.948		Yes		8/26/25 10:08		RTK		32		1.09		0.69		0.85		8791		-1338		Yes		RTK		3D		1		3744		0.759		0.512		0.63		1.83				WME		Water Meter

		UP3381		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3381		8/26/25 10:10		3729'9.7432"N		7910'30.4204"W		378.026		531828.534		0		UNKNOWN		20		32768		CLASSIC		OMNI PEAK		140		42.107		100		-10		8		12.082		-1.615		-52.225		Yes		8/26/25 10:10		RTK		32		1.03		0.65		0.8		8956		-1338		Yes		RTK		3D		1		3744		1.388		0.759		0.591		3.164				WME		Water Meter

		UP3382		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3382		8/26/25 10:11		3729'10.5119"N		7910'32.1664"W		160.742		531989.277		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		77.198		100		4		8		12.825		-0.067		-80.313		Yes		8/26/25 10:11		RTK		32		1.03		0.65		0.8		9015		-1338		Yes		RTK		3D		1.6		3744		0.759		0.591		0.512		1.923				WME		Water Meter

		UP3383		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3383		8/26/25 10:12		3729'10.7382"N		7910'33.9968"W		149.125		532138.402		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		29.644		100		-8		11		13.229		-1.29		-67.75		Yes		8/26/25 10:12		RTK		32		1.03		0.65		0.79		9038		-1338		Yes		RTK		3D		0.8		3744		0.472		0.433		0.394		1.282				WME		Water Meter

		UP3384		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3384		8/26/25 10:16		3729'28.0245"N		7910'39.6454"W		1811.691		533950.092		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		15.961		100		-14		7		7.156		-3.74		7.849		Yes		8/26/25 10:17		RTK		32		1.13		0.68		0.9		9301		-1337		Yes		RTK		3D		1.2		3744		2.207		1.388		1.142		5.215				WME		Water Meter

		UP3385		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3385		8/26/25 10:21		3730'2.5716"N		7911'3.8618"W		0		533950.092		0		UNKNOWN		16		32768		CLASSIC		OMNI PEAK		140		100		100		1		12		9.757		-2.465		-45.232		Yes		8/26/25 10:21		RTK		32		1.06		0.66		0.83		10415		-1337		Yes		RTK		3D		0.6		3744		1.157		0.759		0.63		2.768				WME		Water Meter

		UP3386		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3386		8/26/25 10:23		3730'4.3084"N		7911'6.2235"W		259.181		534209.274		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		3		11		12.591		-2.106		15.511		Yes		8/26/25 10:23		RTK		32		1.06		0.65		0.83		10472		-1337		Yes		RTK		3D		0.8		3744		1.27		0.759		0.63		2.959				WME		Water Meter

		UP3387		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3387		8/26/25 10:23		3730'4.7087"N		7911'6.7474"W		58.538		534267.812		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		116		9		16.733		-1.185		13.498		Yes		8/26/25 10:23		RTK		32		1.22		0.71		0.99		10489		-1337		Yes		RTK		3D		1.6		3744		2.058		1.64		0.866		5.263				WME		Water Meter

		UP3388		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3388		8/26/25 10:25		3730'5.4029"N		7911'7.6169"W		99.291		534367.103		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		8.942		100		26		6		18.022		-3.594		52.269		Yes		8/26/25 10:25		FLOAT RTK		31		1.13		0.68		0.9		10465		-1337		Yes		FLOAT RTK		3D		0.4		3744		3.313		2.761		0.512		8.625				WME		Water Meter

		UP3389		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3389		8/26/25 10:26		3730'6.2929"N		7911'9.6368"W		185.962		534553.065		0.003		UNKNOWN		12979		32768		CLASSIC		OMNI PEAK		140		91.946		100		40		6		10.347		-3.203		71.292		Yes		8/26/25 10:26		RTK		31		1.22		0.71		1		10400		-1337		Yes		RTK		3D		0.6		3744		1.774		1.64		0.984		4.833				WME		Water Meter

		UP3390		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3390		8/26/25 10:29		3730'6.4290"N		7911'13.6757"W		325.358		534878.422		0		UNKNOWN		42		32768		CLASSIC		OMNI PEAK		140		100		100		-6		8		11.026		0.457		88.974		Yes		8/26/25 10:29		RTK		31		1.18		0.69		0.96		10291		-1337		Yes		RTK		3D		0.8		3744		2.058		1.512		0.906		5.107				WME		Water Meter

		UP3391		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3391		8/26/25 10:30		3730'6.5637"N		7911'14.7186"W		85.047		534963.469		0		UNKNOWN		1319		32768		CLASSIC		OMNI PEAK		140		88.496		100		10		11		11.481		-2.67		-59.283		Yes		8/26/25 10:30		RTK		31		1.13		0.67		0.91		10258		-1337		Yes		RTK		3D		1.2		3744		2.522		1.64		0.906		6.018				WME		Water Meter

		UP3392		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3392		8/26/25 10:30		3730'6.5658"N		7911'14.7419"W		1.886		534965.356		0		UNKNOWN		21		32768		CLASSIC		OMNI PEAK		140		100		100		-5		10		11.111		-0.283		79.867		Yes		8/26/25 10:30		RTK		31		1.13		0.67		0.91		10258		-1337		Yes		RTK		3D		1.6		3744		2.362		1.512		0.866		5.609				WME		Water Meter

		UP3393		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3393		8/26/25 10:31		3730'6.5623"N		7911'15.6874"W		76.1		535041.455		0		UNKNOWN		195		32768		CLASSIC		OMNI PEAK		140		41.087		100		0		11		12.687		-6.309		22.65		Yes		8/26/25 10:31		RTK		31		1.22		0.7		1		10214		-1337		Yes		RTK		3D		0.4		3744		3.034		2.522		1.102		7.891				WME		Water Meter

		UP3394		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3394		8/26/25 10:32		3730'6.9233"N		7911'17.5105"W		151.232		535192.687		0		UNKNOWN		166		32768		CLASSIC		OMNI PEAK		140		66.961		100		-36		11		11.939		-1.871		-74.589		Yes		8/26/25 10:32		RTK		30		1.29		0.72		1.07		10161		-1337		Yes		RTK		3D		0.6		3744		2.058		1.27		0.906		4.837				WME		Water Meter

		UP3395		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3395		8/26/25 10:33		3730'7.1786"N		7911'18.4446"W		79.514		535272.201		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		49.36		100		-1		12		14.981		-3.623		-79.988		Yes		8/26/25 10:33		RTK		31		1.22		0.7		1		10097		-1337		Yes		RTK		3D		1.2		3744		2.207		1.27		0.787		5.094				WME		Water Meter

		UP3396		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3396		8/26/25 10:35		3730'7.8278"N		7911'19.7141"W		121.558		535393.759		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		90.525		100		-2		9		20.3		-1.754		-1.508		Yes		8/26/25 10:35		RTK		32		1.22		0.7		1		9987		-1337		Yes		RTK		3D		0.4		3744		1.05		0.948		0.669		2.828				WME		Water Meter

		UP3397		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3397		8/26/25 10:36		3730'8.5642"N		7911'21.1491"W		137.55		535531.31		0		UNKNOWN		54		32768		CLASSIC		OMNI PEAK		140		66.858		100		2		13		13.413		-2.594		-3.332		Yes		8/26/25 10:36		RTK		30		1.22		0.69		1.01		9848		-1337		Yes		RTK		3D		1		3744		2.362		1.388		0.827		5.48				WME		Water Meter

		UP3398		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3398		8/26/25 10:37		3730'9.1488"N		7911'22.0734"W		95.144		535626.453		0		UNKNOWN		15		32768		CLASSIC		OMNI PEAK		140		75.984		100		-1		12		15.001		-2.69		-27.581		Yes		8/26/25 10:37		FLOAT RTK		29		1.33		0.72		1.12		9744		-1337		Yes		FLOAT RTK		3D		1.2		3744		10.307		9.019		1.89		27.391				WME		Water Meter

		UP3399		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3399		8/26/25 10:38		3730'9.4159"N		7911'24.1039"W		165.655		535792.108		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		18.575		100		-4		10		10.555		-4.401		71.469		Yes		8/26/25 10:38		RTK		31		1.22		0.69		1.01		9658		-1337		Yes		RTK		3D		0.4		3744		1.64		1.157		0.748		4.015				WME		Water Meter

		UP3400		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3400		8/26/25 10:39		3730'8.3077"N		7911'23.9709"W		112.934		535905.042		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		20.154		100		-5		7		15.166		-0.4		7.353		Yes		8/26/25 10:39		RTK		31		1.22		0.69		1.01		9674		-1337		Yes		RTK		3D		0.8		3744		0.672		0.551		0.591		1.738				WME		Water Meter

		UP3401		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3401		8/26/25 10:41		3730'8.0203"N		7911'21.4327"W		206.357		536111.399		0		UNKNOWN		116		32768		CLASSIC		OMNI PEAK		140		85.165		100		4		9		14.281		-1.05		-37.383		Yes		8/26/25 10:41		RTK		30		1.22		0.69		1.01		9884		-1337		Yes		RTK		3D		0.4		3744		0.948		0.759		0.669		2.427				WME		Water Meter

		UP3402		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3402		8/26/25 10:43		3730'6.9666"N		7911'19.4115"W		194.653		536306.052		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		-9		10		14.486		-4.114		34.09		Yes		8/26/25 10:43		RTK		30		1.43		0.72		1.23		10046		-1337		Yes		RTK		3D		1.2		3744		0.948		0.672		0.591		2.323				WME		Water Meter

		UP3403		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3403		8/26/25 10:43		3730'6.5192"N		7911'18.2102"W		106.81		536412.862		0		UNKNOWN		9		32768		CLASSIC		OMNI PEAK		140		97.689		100		-16		9		9.358		-0.228		47.819		Yes		8/26/25 10:43		RTK		31		1.22		0.69		1.01		10120		-1337		Yes		RTK		3D		0.6		3744		0.85		0.551		0.551		2.027				WME		Water Meter

		UP3404		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3404		8/26/25 10:48		3730'6.1461"N		7911'16.5359"W		139.963		536552.825		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		140		100		100		-4		9		9.961		-6.116		17.995		Yes		8/26/25 10:48		FLOAT RTK		29		1.11		0.63		0.91		10175		-1337		Yes		FLOAT RTK		3D		1.2		3744		13.988		11.411		2.165		36.105				WME		Water Meter

		UP3405		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3405		8/26/25 10:48		3730'5.9270"N		7911'14.8422"W		138.123		536690.948		0		UNKNOWN		183		32768		CLASSIC		OMNI PEAK		140		74.402		100		3		10		12.154		1.514		7.21		Yes		8/26/25 10:48		RTK		29		1.26		0.66		1.07		10229		-1337		Yes		RTK		3D		1.2		3744		2.058		1.27		0.866		4.837				WME		Water Meter

		UP3406		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3406		8/26/25 10:52		3730'5.9160"N		7911'13.1542"W		135.859		536826.807		0		UNKNOWN		64		32768		CLASSIC		OMNI PEAK		140		68.647		100		0		10		16.884		-1.6		81.685		Yes		8/26/25 10:52		RTK		31		1.26		0.65		1.07		10293		-1337		Yes		RTK		3D		1.2		3744		1.64		1.157		0.748		4.015				WME		Water Meter

		UP3407		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3407		8/26/25 10:53		3730'5.9486"N		7911'10.7823"W		190.926		537017.733		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		24.783		100		-16		8		13.66		-0.352		4.021		Yes		8/26/25 10:53		RTK		31		1.1		0.62		0.91		10398		-1337		Yes		RTK		3D		0.4		3744		0.472		0.378		0.394		1.21				WME		Water Meter

		UP3408		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3408		8/26/25 10:57		3730'1.2866"N		7911'5.4017"W		641.276		537659.008		0		UNKNOWN		16		32768		CLASSIC		OMNI PEAK		140		77.572		100		0		10		24.722		-3.215		40.289		Yes		8/26/25 10:57		RTK		31		1.25		0.64		1.07		10326		-1337		Yes		RTK		3D		1.4		3744		0.85		0.551		0.551		2.027				WME		Water Meter

		UP3409		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3409		8/26/25 10:58		3730'0.4288"N		7911'6.8522"W		145.604		537804.613		0		UNKNOWN		30		32768		CLASSIC		OMNI PEAK		140		82.212		100		8		8		11.572		-0.722		-5.807		Yes		8/26/25 10:58		RTK		31		1.25		0.64		1.07		10324		-1337		Yes		RTK		3D		0.8		3744		1.27		0.672		0.63		2.874				WME		Water Meter

		UP3410		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3410		8/26/25 10:59		3730'0.3787"N		7911'6.9227"W		7.619		537812.232		0		UNKNOWN		77		32768		CLASSIC		OMNI PEAK		140		81.995		100		0		12		12.981		0.005		-83.111		Yes		8/26/25 10:59		RTK		31		1.25		0.64		1.07		10325		-1337		Yes		RTK		3D		1		3744		0.759		0.672		0.551		2.027				WME		Water Meter

		UP3411		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3411		8/26/25 11:00		3729'58.6915"N		7911'8.2475"W		201.665		538013.897		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		47.496		100		8		9		14.379		0.803		-40.434		Yes		8/26/25 11:00		RTK		31		1.15		0.61		0.98		10354		-1337		Yes		RTK		3D		0.4		3744		0.948		0.759		0.591		2.427				WME		Water Meter

		UP3412		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3412		8/26/25 11:04		3729'58.1549"N		7911'8.7414"W		67.401		538081.299		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		17.227		100		-9		8		13.274		-0.841		-86.623		Yes		8/26/25 11:04		RTK		31		1.15		0.6		0.98		10280		-1337		Yes		RTK		3D		0.8		3744		2.522		1.388		0.748		5.758				WME		Water Meter

		UP3413		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3413		8/26/25 11:06		3729'56.7265"N		7911'10.3652"W		195.143		538276.442		0		UNKNOWN		41		32768		CLASSIC		OMNI PEAK		140		67.013		100		10		7		12.792		-1.74		74.848		Yes		8/26/25 11:06		RTK		32		1.09		0.58		0.92		10278		-1337		Yes		RTK		3D		0.6		3744		1.512		0.591		0.709		3.246				WME		Water Meter

		UP3414		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3414		8/26/25 11:08		3729'57.9772"N		7911'12.8217"W		234.93		538511.372		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		43.033		100		-1		13		9.057		-3.613		24.58		Yes		8/26/25 11:08		RTK		31		1.09		0.58		0.92		10204		-1337		Yes		RTK		3D		0.4		3744		0.433		0.394		0.394		1.171				WME		Water Meter

		UP3415		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3415		8/26/25 11:09		3729'58.3617"N		7911'14.1953"W		117.231		538628.603		0		UNKNOWN		25		32768		CLASSIC		OMNI PEAK		140		100		100		21		9		8.765		-3.978		11.491		Yes		8/26/25 11:09		RTK		30		1.04		0.56		0.88		10182		-1337		Yes		RTK		3D		0.6		3744		1.27		0.759		0.551		2.959				WME		Water Meter

		UP3416		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3416		8/26/25 11:09		3729'58.3679"N		7911'14.2212"W		2.181		538630.784		0		UNKNOWN		38		32768		CLASSIC		OMNI PEAK		140		100		100		-39		12		15.791		-0.693		1.646		Yes		8/26/25 11:09		RTK		30		1.04		0.56		0.88		10180		-1337		Yes		RTK		3D		1		3744		0.759		0.591		0.472		1.923				WME		Water Meter

		UP3417		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3417		8/26/25 11:11		3729'58.7650"N		7911'15.9568"W		145.383		538776.168		0		UNKNOWN		33		32768		CLASSIC		OMNI PEAK		140		100		100		1		10		13.547		-3.772		45.933		Yes		8/26/25 11:11		FLOAT RTK		29		1.11		0.58		0.94		10267		-1337		Yes		FLOAT RTK		3D		1.2		3744		29.449		23.927		4.724		75.888				WME		Water Meter

		UP3418		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3418		8/26/25 11:12		3730'0.4996"N		7911'22.9197"W		587.396		539363.564		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		57.792		100		9		7		12.537		-1.177		-10.727		Yes		8/26/25 11:12		RTK		31		1.11		0.58		0.95		10193		-1337		Yes		RTK		3D		1		3744		0.85		0.591		0.512		2.071				WME		Water Meter

		UP3419		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3419		8/26/25 11:13		3730'0.4980"N		7911'22.8414"W		6.301		539369.865		0		UNKNOWN		21		32768		CLASSIC		OMNI PEAK		140		100		100		8		11		13.475		-2.029		3.64		Yes		8/26/25 11:13		RTK		31		1.11		0.57		0.95		10188		-1337		Yes		RTK		3D		0.6		3744		0.551		0.472		0.394		1.452				WME		Water Meter

		UP3420		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3420		8/26/25 11:14		3730'1.1995"N		7911'24.3540"W		141.018		539510.882		0		UNKNOWN		13		32768		CLASSIC		OMNI PEAK		140		100		100		12		7		20.072		3.408		-12.616		Yes		8/26/25 11:14		RTK		32		1.12		0.57		0.96		10135		-1337		Yes		RTK		3D		1		3744		1.05		0.948		0.551		2.828				WME		Water Meter

		UP3421		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3421		8/26/25 11:16		3730'2.0227"N		7911'25.7280"W		138.578		539649.46		0		UNKNOWN		13		32768		CLASSIC		OMNI PEAK		140		64.779		100		9		9		23.442		-0.503		-18.951		Yes		8/26/25 11:16		RTK		31		1.12		0.57		0.96		10095		-1337		Yes		RTK		3D		1		3744		0.472		0.433		0.394		1.282				WME		Water Meter

		UP3422		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3422		8/26/25 11:18		3730'2.5071"N		7911'26.7877"W		98.438		539747.899		0		UNKNOWN		124		32768		CLASSIC		OMNI PEAK		140		68.04		100		2		12		13.332		0.965		3.926		Yes		8/26/25 11:18		FLOAT RTK		32		1.19		0.59		1.03		10072		-1337		Yes		FLOAT RTK		3D		1		3744		23.927		22.087		3.858		65.125				WME		Water Meter

		UP3423		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3423		8/26/25 11:19		3730'3.4326"N		7911'28.0284"W		137.071		539884.97		0		UNKNOWN		28		32768		CLASSIC		OMNI PEAK		140		61.054		100		0		13		12.621		-3.586		-23.181		Yes		8/26/25 11:19		RTK		31		1.19		0.59		1.03		9981		-1337		Yes		RTK		3D		1.2		3744		0.759		0.551		0.512		1.875				WME		Water Meter

		UP3424		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3424		8/26/25 11:20		3730'3.9740"N		7911'28.7060"W		77.395		539962.364		0		UNKNOWN		17		32768		CLASSIC		OMNI PEAK		140		79.294		100		-7		7		15.253		-5.826		51.124		Yes		8/26/25 11:20		FLOAT RTK		31		1.13		0.57		0.98		9964		-1337		Yes		FLOAT RTK		3D		1		3744		3.129		2.577		0.433		8.107				WME		Water Meter

		UP3425		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3425		8/26/25 11:22		3730'4.8437"N		7911'29.5545"W		111.576		540073.94		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		42.836		100		-9		10		13.796		-0.097		3.224		Yes		8/26/25 11:22		RTK		32		1.14		0.58		0.99		9928		-1337		Yes		RTK		3D		0.6		3744		3.402		1.388		0.709		7.348				WME		Water Meter

		UP3426		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3426		8/26/25 11:23		3730'5.4160"N		7911'30.3663"W		87.407		540161.347		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		5.53		100		-1		12		14.227		4.211		-27.023		Yes		8/26/25 11:23		RTK		32		1.14		0.56		0.99		9914		-1337		Yes		RTK		3D		0.6		3744		0.591		0.551		0.394		1.616				WME		Water Meter

		UP3427		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3427		8/26/25 11:25		3730'5.8218"N		7911'31.2854"W		84.654		540246.001		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		5.393		100		14		9		20.484		-3.258		8.418		Yes		8/26/25 11:25		RTK		32		1.14		0.56		0.99		9875		-1337		Yes		RTK		3D		1		3744		1.64		1.27		0.748		4.15				WME		Water Meter

		UP3428		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3428		8/26/25 11:27		3730'5.9957"N		7911'32.3767"W		89.592		540335.592		0		UNKNOWN		13		32768		CLASSIC		OMNI PEAK		140		100		100		-20		13		11.204		-2.156		-84.428		Yes		8/26/25 11:27		RTK		32		1.15		0.56		1		9803		-1337		Yes		RTK		3D		1.2		3744		0.759		0.591		0.433		1.923				WME		Water Meter

		UP3429		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3429		8/26/25 11:28		3730'6.3886"N		7911'33.5363"W		101.484		540437.077		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		34.949		100		-8		8		13.94		0.175		-29.203		Yes		8/26/25 11:28		RTK		32		1.21		0.58		1.06		9698		-1337		Yes		RTK		3D		0.8		3744		1.774		1.774		0.787		5.018				WME		Water Meter

		UP3430		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3430		8/26/25 11:29		3730'6.7158"N		7911'34.6364"W		94.555		540531.631		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		37.794		100		0		12		19.145		-0.213		-27.477		Yes		8/26/25 11:29		RTK		32		1.15		0.56		1		9614		-1337		Yes		RTK		3D		1		3744		0.591		0.472		0.433		1.513				WME		Water Meter

		UP3431		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3431		8/26/25 11:30		3730'6.6838"N		7911'35.6080"W		78.27		540609.901		0		UNKNOWN		1562		32768		CLASSIC		OMNI PEAK		140		36.947		100		-89		4		11.46		-1.659		-40.987		Yes		8/26/25 11:30		RTK		32		1.17		0.58		1.02		9569		-1337		Yes		RTK		3D		0.6		3744		0.948		0.672		0.472		2.323				WME		Water Meter

		UP3432		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3432		8/26/25 11:31		3730'5.8511"N		7911'34.4679"W		124.726		540734.627		0		UNKNOWN		22		32768		CLASSIC		OMNI PEAK		140		47.18		100		2		12		15.728		2.007		-86.517		Yes		8/26/25 11:31		RTK		32		1.22		0.58		1.07		9651		-1337		Yes		RTK		3D		1.2		3744		1.774		1.157		0.63		4.237				WME		Water Meter

		UP3433		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3433		8/26/25 11:32		3730'5.7572"N		7911'33.6941"W		63.008		540797.634		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		28.345		100		12		7		15.834		-1.385		-21.071		Yes		8/26/25 11:32		RTK		28		1.22		0.58		1.07		9713		-1337		Yes		RTK		3D		0.4		3744		0.948		0.551		0.472		2.192				WME		Water Meter

		UP3434		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3434		8/26/25 11:33		3730'5.5647"N		7911'32.8361"W		71.759		540869.393		0		UNKNOWN		16		32768		CLASSIC		OMNI PEAK		140		100		100		-22		10		10.379		-3.163		16.028		Yes		8/26/25 11:33		RTK		31		1.15		0.56		1.01		9786		-1337		Yes		RTK		3D		0.8		3744		1.157		0.672		0.551		2.677				WME		Water Meter

		UP3435		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3435		8/26/25 11:36		3730'4.8622"N		7911'30.6170"W		192.304		541061.697		0		UNKNOWN		30		32768		CLASSIC		OMNI PEAK		140		51.405		100		-12		11		12.048		-1.059		12.056		Yes		8/26/25 11:36		RTK		31		1.15		0.56		1.01		9880		-1337		Yes		RTK		3D		0.6		3744		2.688		0.551		0.512		5.487				WME		Water Meter

		UP3436		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3436		8/26/25 11:37		3730'3.9477"N		7911'29.4838"W		130.09		541191.787		0		UNKNOWN		17		32768		CLASSIC		OMNI PEAK		140		100		100		-2		11		13.346		-3.243		21.692		Yes		8/26/25 11:37		RTK		31		1.16		0.56		1.01		9920		-1337		Yes		RTK		3D		0.6		3744		1.388		0.948		0.591		3.362				WME		Water Meter

		UP3437		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3437		8/26/25 11:37		3730'3.1662"N		7911'28.7553"W		98.613		541290.4		0		UNKNOWN		65		32768		CLASSIC		OMNI PEAK		140		90.623		100		-4		12		13.866		4.318		-25.977		Yes		8/26/25 11:37		RTK		30		1.16		0.56		1.01		9950		-1337		Yes		RTK		3D		0.6		3744		0.759		0.672		0.433		2.027				WME		Water Meter

		UP3438		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3438		8/26/25 11:39		3730'2.6495"N		7911'27.8816"W		87.71		541378.109		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		29.87		100		-9		7		10.314		0.097		-84.612		Yes		8/26/25 11:39		RTK		30		1.18		0.58		1.03		9979		-1337		Yes		RTK		3D		1.2		3744		2.058		0.591		0.63		4.282				WME		Water Meter

		UP3439		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3439		8/26/25 11:39		3730'2.2381"N		7911'27.2319"W		66.904		541445.013		0		UNKNOWN		11		32768		CLASSIC		OMNI PEAK		140		100		100		-6		10		19.023		-0.731		85.731		Yes		8/26/25 11:39		RTK		31		1.16		0.56		1.01		10017		-1337		Yes		RTK		3D		1		3744		0.85		0.759		0.472		2.279				WME		Water Meter

		UP3440		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3440		8/26/25 11:43		3730'1.0553"N		7911'25.2658"W		198.596		541643.609		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		140		100		100		10		10		12.422		-2.91		-33.438		Yes		8/26/25 11:43		RTK		32		1.21		0.58		1.06		10083		-1337		Yes		RTK		3D		1		3744		0.759		0.551		0.472		1.875				WME		Water Meter

		UP3441		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3441		8/26/25 11:44		3730'1.2785"N		7911'25.6348"W		37.347		541680.956		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		32.355		100		-30		7		11.329		-2.86		-28.782		Yes		8/26/25 11:44		RTK		32		1.21		0.58		1.06		10091		-1337		Yes		RTK		3D		0.4		3744		0.759		0.551		0.472		1.875				WME		Water Meter

		UP3442		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3442		8/26/25 11:46		3730'0.3231"N		7911'23.7292"W		181.438		541862.394		0		UNKNOWN		68		32768		CLASSIC		OMNI PEAK		140		65.385		100		-13		11		13.072		-5.054		4.114		Yes		8/26/25 11:46		RTK		32		1.09		0.54		0.95		10178		-1337		Yes		RTK		3D		1		3744		1.157		0.472		0.394		2.5				WME		Water Meter

		UP3443		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3443		8/26/25 11:47		3729'59.8626"N		7911'23.0478"W		72.038		541934.433		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		100		100		0		5		8.061		0.946		-63.033		Yes		8/26/25 11:47		RTK		32		1.09		0.54		0.94		10230		-1337		Yes		RTK		3D		0.4		3744		1.157		0.948		0.63		2.992				WME		Water Meter

		UP3444		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3444		8/26/25 11:48		3729'59.4233"N		7911'21.5372"W		129.499		542063.932		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		6.184		100		-19		7		9.367		1.248		14.125		Yes		8/26/25 11:49		RTK		32		1.09		0.54		0.94		10249		-1337		Yes		RTK		3D		12.2		3744		1.388		1.05		0.669		3.481				WME		Water Meter

		UP3445		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3445		8/26/25 11:50		3729'59.1331"N		7911'20.3747"W		98.085		542162.017		0		UNKNOWN		10		32768		CLASSIC		OMNI PEAK		140		87.66		100		16		9		17.677		2.353		44.144		Yes		8/26/25 11:50		RTK		32		1.15		0.57		1		10199		-1337		Yes		RTK		3D		0.6		40		1.388		1.05		0.591		3.481				WME		Water Meter

		UP3446		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3446		8/26/25 11:50		3729'59.1097"N		7911'20.1669"W		16.892		542178.909		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		63		11		15.483		-2.938		-48.465		Yes		8/26/25 11:50		RTK		32		1.15		0.57		1		10204		-1337		Yes		RTK		3D		0.6		40		1.512		0.672		0.512		3.309				WME		Water Meter

		UP3447		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3447		8/26/25 11:54		3729'58.7803"N		7911'18.7300"W		120.378		542299.287		0		UNKNOWN		9		32768		CLASSIC		OMNI PEAK		140		87.524		100		-3		6		34.03		-4.6		-26.622		Yes		8/26/25 11:54		RTK		31		1.07		0.54		0.93		10254		-1337		Yes		RTK		3D		0.4		40		6.047		1.512		0.984		12.467				WME		Water Meter

		UP3448		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3448		8/26/25 11:56		3729'58.3988"N		7911'16.9085"W		151.633		542450.92		0		UNKNOWN		21		32768		CLASSIC		OMNI PEAK		140		45.712		100		39		11		16.472		-3.137		-79.001		Yes		8/26/25 11:56		RTK		30		1.03		0.53		0.88		10269		-1337		Yes		RTK		3D		0.8		40		0.472		0.378		0.394		1.21				WME		Water Meter

		UP3449		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3449		8/26/25 12:01		3729'58.3016"N		7911'16.3553"W		45.602		542496.522		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		1.83		100		-67		5		18.116		-1.986		32.122		Yes		8/26/25 12:01		RTK		30		1.06		0.56		0.9		10275		-1337		Yes		RTK		3D		1.2		40		0.591		0.551		0.394		1.616				WME		Water Meter

		UP3450		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3450		8/26/25 12:04		3729'57.5758"N		7911'13.4806"W		242.812		542739.334		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		2.705		100		54		9		17		-2.415		-63.309		Yes		8/26/25 12:04		FLOAT RTK		31		1.05		0.55		0.9		10248		-1337		Yes		FLOAT RTK		3D		0.6		40		3.313		2.577		0.472		8.394				WME		Water Meter

		UP3451		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3451		8/26/25 12:06		3729'52.9640"N		7911'12.3145"W		477.189		543216.523		0		UNKNOWN		67		32768		CLASSIC		OMNI PEAK		140		51.999		100		0		10		12.872		-3.775		-0.818		Yes		8/26/25 12:06		RTK		31		1.05		0.56		0.89		10226		-1337		Yes		RTK		3D		1		40		1.157		0.85		0.63		2.873				WME		Water Meter

		UP3452		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3452		8/26/25 12:09		3730'1.2106"N		7911'3.7118"W		1085.987		544302.51		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		56.346		100		20		9		10.842		-1.446		25.464		Yes		8/26/25 12:09		RTK		32		0.96		0.52		0.81		10367		-1337		Yes		RTK		3D		0.4		40		0.948		0.85		0.512		2.546				WME		Water Meter

		UP3453		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3453		8/26/25 12:18		3728'48.5322"N		799'35.0337"W		0		544302.51		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		140		100		100		2		10		1.917		-16.827		-17.139		Yes		8/26/25 12:18		RTK		32		1.05		0.58		0.88		9240		-1338		Yes		RTK		3D		0.8		40		0.672		0.512		0.433		1.689				WME		Water Meter

		UP3454		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3454		8/26/25 12:22		3728'47.7901"N		799'39.6435"W		378.681		544681.191		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		72.346		100		-2		10		14.215		-1.545		64.118		Yes		8/26/25 12:22		RTK		32		1.12		0.61		0.94		9154		-1338		Yes		RTK		3D		0.6		40		0.591		0.551		0.433		1.616				WME		Water Meter

		UP3455		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3455		8/26/25 12:23		3728'47.3565"N		799'42.7379"W		252.977		544934.167		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		140		100		100		5		9		11.967		-0.358		-52.773		Yes		8/26/25 12:23		FLOAT RTK		31		1.17		0.63		0.99		9046		-1338		Yes		FLOAT RTK		3D		0.6		40		9.387		8.651		1.654		25.53				WME		Water Meter

		UP3456		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3456		8/26/25 12:25		3728'47.4344"N		799'45.9788"W		261.04		545195.207		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		34.51		100		0		9		17.376		-5.118		64.864		Yes		8/26/25 12:25		RTK		32		1.15		0.63		0.96		8960		-1338		Yes		RTK		3D		1.2		40		1.388		0.512		0.512		2.96				WME		Water Meter

		UP3457		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3457		8/26/25 12:27		3728'47.7310"N		799'50.0302"W		327.55		545522.757		0		UNKNOWN		93		32768		CLASSIC		OMNI PEAK		140		31.097		100		57		8		10.481		-0.35		78.348		Yes		8/26/25 12:27		RTK		32		1.06		0.61		0.87		8683		-1338		Yes		RTK		3D		0.8		40		0.672		0.512		0.472		1.689				WME		Water Meter

		UP3458		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3458		8/26/25 12:28		3728'47.7142"N		799'50.0765"W		4.097		545526.855		0		UNKNOWN		25		32768		CLASSIC		OMNI PEAK		140		100		100		3		9		10.802		-1.181		55.637		Yes		8/26/25 12:28		RTK		32		1.11		0.62		0.91		8678		-1338		Yes		RTK		3D		1.6		40		0.591		0.512		0.551		1.563				WME		Water Meter

		UP3459		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3459		8/26/25 12:30		3728'45.5940"N		799'54.0670"W		386.631		545913.485		0		UNKNOWN		1		32768		CLASSIC		OMNI PEAK		140		100		100		0		13		10.107		-1.284		-34.564		Yes		8/26/25 12:30		FLOAT RTK		30		1.1		0.64		0.89		8353		-1338		Yes		FLOAT RTK		3D		0.6		40		4.601		4.233		1.024		12.505				WME		Water Meter

		UP3460		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3460		8/26/25 12:32		3728'43.5501"N		799'57.5951"W		351.674		546265.159		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		14.43		100		3		7		13.886		-1.197		89.394		Yes		8/26/25 12:32		RTK		30		1.09		0.62		0.89		8165		-1338		Yes		RTK		3D		0.8		40		1.512		0.948		0.669		3.568				WME		Water Meter

		UP3461		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3461		8/26/25 12:34		3728'42.1507"N		7910'4.2288"W		552.621		546817.78		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		14.125		100		-1		10		13.418		-1.233		35.649		Yes		8/26/25 12:34		RTK		31		1.1		0.63		0.9		8121		-1338		Yes		RTK		3D		0.6		40		1.388		0.85		0.709		3.256				WME		Water Meter

		UP3462		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3462		8/26/25 12:37		3728'44.6009"N		7910'11.2834"W		619.969		547437.749		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		5.77		100		2		12		14.315		-4.108		-85.738		Yes		8/26/25 12:37		RTK		32		1.19		0.64		1		8029		-1338		Yes		RTK		3D		1.4		40		1.774		1.388		0.827		4.506				WME		Water Meter

		UP3463		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3463		8/26/25 12:37		3728'43.3691"N		7910'12.4618"W		156.9		547594.649		0		UNKNOWN		31		32768		CLASSIC		OMNI PEAK		140		100		100		15		9		15.42		-5.37		-41.235		Yes		8/26/25 12:37		RTK		31		1.1		0.61		0.92		7897		-1338		Yes		RTK		3D		0.8		40		0.759		0.591		0.591		1.923				WME		Water Meter

		UP3464		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3464		8/26/25 12:40		3728'42.3215"N		7910'8.5524"W		332.206		547926.854		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		33.626		100		24		6		13.557		-2.428		27.339		Yes		8/26/25 12:40		RTK		32		1.18		0.65		0.99		7781		-1338		Yes		RTK		3D		1		40		0.85		0.672		0.591		2.168				WME		Water Meter

		UP3465		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3465		8/26/25 12:41		3728'41.7278"N		7910'6.1729"W		200.818		548127.672		0		UNKNOWN		8		32768		CLASSIC		OMNI PEAK		140		100		100		1		7		13.472		-4.019		-64.165		Yes		8/26/25 12:41		RTK		31		1.08		0.6		0.9		8130		-1338		Yes		RTK		3D		1.2		40		0.591		0.512		0.472		1.563				WME		Water Meter

		UP3466		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3466		8/26/25 12:43		3728'41.3996"N		7910'3.4372"W		222.753		548350.425		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		5		11		13.176		-0.769		9.632		Yes		8/26/25 12:43		RTK		31		1.18		0.64		0.99		8022		-1338		Yes		RTK		3D		1		40		1.05		0.591		0.551		2.409				WME		Water Meter

		UP3467		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3467		8/26/25 12:45		3728'42.0864"N		799'59.3887"W		333.306		548683.732		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		8.174		100		7		8		13.063		-1.732		-66.284		Yes		8/26/25 12:45		RTK		31		1.23		0.67		1.03		8023		-1338		Yes		RTK		3D		1.4		40		1.157		0.672		0.669		2.677				WME		Water Meter

		UP3468		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3468		8/26/25 12:47		3728'43.2342"N		799'56.8017"W		238.62		548922.352		0		UNKNOWN		89		32768		CLASSIC		OMNI PEAK		140		97.763		100		0		10		20.826		-2.688		59.201		Yes		8/26/25 12:47		RTK		31		1.18		0.65		0.98		8237		-1338		Yes		RTK		3D		1.2		40		1.157		0.512		0.551		2.531				WME		Water Meter

		UP3469		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3469		8/26/25 12:48		3728'44.5314"N		799'54.8431"W		205.382		549127.734		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		42.851		100		0		12		14.195		-2.024		-14.837		Yes		8/26/25 12:48		RTK		32		1.24		0.65		1.05		8320		-1338		Yes		RTK		3D		1		40		2.207		1.27		1.024		5.094				WME		Water Meter

		UP3470		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3470		8/26/25 12:51		3728'45.2602"N		799'53.5010"W		130.924		549258.658		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		63.807		100		-2		11		21.126		-2.041		-50.704		Yes		8/26/25 12:51		RTK		31		1.17		0.65		0.97		8378		-1338		Yes		RTK		3D		2		40		1.388		0.948		0.748		3.362				WME		Water Meter

		UP3471		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3471		8/26/25 12:53		3728'47.0474"N		799'49.7718"W		350.731		549609.389		0		UNKNOWN		63		32768		CLASSIC		OMNI PEAK		140		63.799		100		13		10		8.299		-1.584		-90.502		Yes		8/26/25 12:53		RTK		32		1.14		0.63		0.96		8686		-1338		Yes		RTK		3D		1.2		40		0.948		0.591		0.512		2.233				WME		Water Meter

		UP3472		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3472		8/26/25 12:55		3728'46.8025"N		799'45.4168"W		351.496		549960.884		0		UNKNOWN		61		32768		CLASSIC		OMNI PEAK		140		80.625		100		-4		9		18.382		-2.853		8.849		Yes		8/26/25 12:55		RTK		32		1.07		0.59		0.89		8999		-1338		Yes		RTK		3D		0.6		40		1.157		0.591		0.591		2.599				WME		Water Meter

		UP3473		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3473		8/26/25 12:57		3728'46.7327"N		799'43.0090"W		193.972		550154.857		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		140		100		100		1		11		13.299		-0.302		48.281		Yes		8/26/25 12:57		RTK		32		1.19		0.64		1.01		9059		-1338		Yes		RTK		3D		1.2		40		0.759		0.591		0.63		1.923				WME		Water Meter

		UP3474		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3474		8/26/25 12:59		3728'47.3670"N		799'38.6056"W		360.302		550515.159		0		UNKNOWN		13		32768		CLASSIC		OMNI PEAK		140		100		100		11		9		26.637		-0.325		37.196		Yes		8/26/25 12:59		RTK		32		1.23		0.67		1.03		9201		-1338		Yes		RTK		3D		1.2		40		0.551		0.433		0.551		1.402				WME		Water Meter

		UP3475		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3475		8/26/25 13:00		3728'47.8165"N		799'34.9477"W		298		550813.159		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		35.445		100		21		6		10.503		-2.424		-26.165		Yes		8/26/25 13:00		RTK		32		1.12		0.6		0.94		9260		-1338		Yes		RTK		3D		1		40		1.512		1.05		0.63		3.681				WME		Water Meter

		UP3476		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3476		8/28/25 7:25		3728'43.8148"N		799'31.5428"W		489.852		551303.011		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		4.347		100		0		10		14.677		-1.198		-86.898		Yes		8/28/25 7:25		RTK		25		1.23		0.61		1.07		9321		-1338		Yes		RTK		3D		1		3079		0.551		0.472		0.394		1.452				WME		Water Meter

		UP3477		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3477		8/28/25 7:28		3728'41.1433"N		799'26.1449"W		512.169		551815.18		0		UNKNOWN		140		32768		CLASSIC		OMNI PEAK		140		10.317		100		26		2		15.77		1.239		32.99		Yes		8/28/25 7:28		FLOAT RTK		32		1.1		0.55		0.95		8942		-1338		Yes		FLOAT RTK		3D		1		3079		25.768		22.087		4.331		67.876				WME		Water Meter

		UP3478		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3478		8/28/25 7:30		3728'39.0976"N		799'25.9464"W		208.147		552023.327		0		UNKNOWN		168		32768		CLASSIC		OMNI PEAK		140		18.125		100		-72		5		16.276		-0.407		76.937		Yes		8/28/25 7:30		RTK		32		1.14		0.57		0.99		8854		-1338		Yes		RTK		3D		1		3079		0.433		0.283		0.394		1.035				WME		Water Meter

		UP3479		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3479		8/28/25 7:31		3728'39.5107"N		799'24.9587"W		89.881		552113.208		0		UNKNOWN		89		32768		CLASSIC		OMNI PEAK		140		19.169		100		5		11		11.994		1.016		58.617		Yes		8/28/25 7:31		RTK		32		1.07		0.53		0.93		8857		-1338		Yes		RTK		3D		1.6		3079		0.386		0.307		0.394		0.986				WME		Water Meter

		UP3480		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3480		8/28/25 7:31		3728'39.5537"N		799'24.9598"W		4.367		552117.575		0		UNKNOWN		3084		32768		CLASSIC		OMNI PEAK		140		9.875		100		1		11		9.904		-2.342		20.467		Yes		8/28/25 7:31		RTK		32		1.07		0.53		0.93		8858		-1338		Yes		RTK		3D		1.2		3079		1.05		0.591		0.512		2.409				WME		Water Meter

		UP3481		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3481		8/28/25 7:32		3728'42.3404"N		799'26.1041"W		297.338		552414.913		0		UNKNOWN		58		32768		CLASSIC		OMNI PEAK		140		7.092		100		-31		4		12.727		3.469		-18.829		Yes		8/28/25 7:32		FLOAT RTK		31		1.07		0.53		0.93		9062		-1338		Yes		FLOAT RTK		3D		1		3079		33.13		23.927		4.331		81.734				WME		Water Meter

		UP3482		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3482		8/28/25 7:34		3728'44.1305"N		799'27.0624"W		197.316		552612.229		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		1.682		100		59		11		16.315		1.156		83.634		Yes		8/28/25 7:34		RTK		32		1.04		0.52		0.91		9222		-1338		Yes		RTK		3D		1.6		3079		1.157		0.551		0.472		2.564				WME		Water Meter

		UP3483		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3483		8/28/25 7:35		3728'45.4972"N		799'30.3261"W		297.099		552909.328		0		UNKNOWN		22		32768		CLASSIC		OMNI PEAK		140		19.959		100		-2		10		18.49		-0.368		-55.016		Yes		8/28/25 7:35		RTK		32		1.07		0.53		0.93		9423		-1338		Yes		RTK		3D		1.2		3079		0.948		0.551		0.512		2.192				WME		Water Meter

		UP3484		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3484		8/28/25 7:37		3728'49.1898"N		799'33.2518"W		442.513		553351.841		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.028		100		-30		12		10.852		-0.115		12.936		Yes		8/28/25 7:37		RTK		32		1.14		0.56		0.99		9222		-1338		Yes		RTK		3D		1.2		3079		0.672		0.433		0.394		1.599				WME		Water Meter

		UP3485		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3485		8/28/25 7:43		3727'59.4446"N		798'7.8245"W		0		553351.841		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		3.348		100		0		9		12.152		-1.141		-70.793		Yes		8/28/25 7:43		RTK		31		1.09		0.54		0.94		10270		-1338		Yes		RTK		3D		0.6		3079		0.551		0.472		0.394		1.452				WME		Water Meter

		UP3486		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3486		8/28/25 7:43		3727'59.4303"N		798'7.8014"W		2.355		553354.196		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		6.993		100		3		9		10.634		-0.642		-68.911		Yes		8/28/25 7:43		RTK		31		1.09		0.54		0.94		10273		-1338		Yes		RTK		3D		1.4		3079		0.512		0.394		0.394		1.291				WME		Water Meter

		UP3487		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3487		8/28/25 7:44		3728'0.1414"N		798'8.9516"W		117.393		553471.589		0		UNKNOWN		11		32768		CLASSIC		OMNI PEAK		140		27.572		100		-9		5		14.48		-0.984		15.669		Yes		8/28/25 7:44		RTK		32		1.12		0.55		0.97		10297		-1338		Yes		RTK		3D		1.4		3079		0.591		0.512		0.433		1.563				WME		Water Meter

		UP3488		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3488		8/28/25 7:45		3727'58.9712"N		798'7.3909"W		172.883		553644.472		0		UNKNOWN		25		32768		CLASSIC		OMNI PEAK		140		14.316		100		2		9		17.373		-1.828		-12.018		Yes		8/28/25 7:45		RTK		32		1.11		0.55		0.97		10259		-1338		Yes		RTK		3D		1		3079		0.85		0.512		0.472		1.985				WME		Water Meter

		UP3489		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3489		8/28/25 7:49		3727'47.6292"N		798'18.1380"W		1439.762		555084.234		0		UNKNOWN		1		32768		CLASSIC		OMNI PEAK		140		100		100		-3		11		8.86		-1.074		15.838		Yes		8/28/25 7:49		RTK		32		1.06		0.54		0.91		9919		-1338		Yes		RTK		3D		1		3079		0.672		0.472		0.472		1.643				WME		Water Meter

		UP3490		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3490		8/28/25 7:49		3727'47.6277"N		798'18.1664"W		2.294		555086.528		0		UNKNOWN		15		32768		CLASSIC		OMNI PEAK		140		100		100		0		11		12.28		1.333		17.326		Yes		8/28/25 7:49		FLOAT RTK		32		1.05		0.53		0.91		9922		-1338		Yes		FLOAT RTK		3D		0.6		3079		5.338		4.049		0.669		13.399				WME		Water Meter

		UP3491		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3491		8/28/25 7:51		3727'47.2896"N		798'19.3650"W		102.433		555188.961		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		3		11		9.854		0.487		-70.284		Yes		8/28/25 7:51		RTK		31		1.09		0.55		0.94		9857		-1338		Yes		RTK		3D		0.8		3079		0.85		0.433		0.433		1.909				WME		Water Meter

		UP3492		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		3492		8/28/25 7:52		3727'46.9612"N		798'21.0784"W		141.935		555330.896		0		UNKNOWN		1701		32768		CLASSIC		OMNI PEAK		140		28.77		100		-11		6		17.588		-2.859		68.689		Yes		8/28/25 7:51		DGPS SPS VALID		31		1.08		0.54		0.93		9880		-1338		Yes		DIFFERENTIAL		3D		1.6		3079		7.016		5.102		7.087		17.35				WME		Water Meter

		UP3493		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		3493		8/28/25 7:52		3727'46.9612"N		798'21.0784"W		0		555330.896		0		UNKNOWN		11		32768		CLASSIC		OMNI PEAK		140		100		100		-7		10		19.053		-0.762		53.34		Yes		8/28/25 7:51		DGPS SPS VALID		31		1.08		0.54		0.93		9880		-1338		Yes		DIFFERENTIAL		3D		1.6		3079		7.016		5.102		7.087		17.35				WME		Water Meter

		UP3494		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		3494		8/28/25 7:52		3727'46.9612"N		798'21.0784"W		0		555330.896		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		56.263		100		-6		6		59.382		2.323		-66.892		Yes		8/28/25 7:51		DGPS SPS VALID		31		1.08		0.54		0.93		9880		-1338		Yes		DIFFERENTIAL		3D		1.6		3079		7.016		5.102		7.087		17.35				WME		Water Meter

		UP3495		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		3495		8/28/25 7:52		3727'46.9612"N		798'21.0784"W		0		555330.896		0		UNKNOWN		20		32768		CLASSIC		OMNI PEAK		140		100		100		-1		6		49.042		19.065		-33.597		Yes		8/28/25 7:51		DGPS SPS VALID		31		1.08		0.54		0.93		9880		-1338		Yes		DIFFERENTIAL		3D		1.6		3079		7.016		5.102		7.087		17.35				WME		Water Meter

		UP3496		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		3496		8/28/25 7:53		3727'46.9612"N		798'21.0784"W		0		555330.896		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		36.037		100		-1		13		8.187		-1.834		13.392		Yes		8/28/25 7:51		DGPS SPS VALID		31		1.08		0.54		0.93		9880		-1338		Yes		DIFFERENTIAL		3D		1.6		3079		7.016		5.102		7.087		17.35				WME		Water Meter

		UP3497		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		3497		8/28/25 7:53		3727'46.9612"N		798'21.0784"W		0		555330.896		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		85.623		100		-3		8		32.12		-3.563		72.303		Yes		8/28/25 7:51		DGPS SPS VALID		31		1.08		0.54		0.93		9880		-1338		Yes		DIFFERENTIAL		3D		1.6		3079		7.016		5.102		7.087		17.35				WME		Water Meter

		UP3498		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		3498		8/28/25 7:54		00'0.0000"N		00'0.0000"E		0		555330.896		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		0		10		22.292		1.664		-84.244		No		8/28/25 7:54		NONE		0		99.99		99.99		99.99		0		0		Yes		DATA NOT VALID		NOT AVAILABLE		0		0		175566.926		84622.053		62992.126		389792.956				WME		Water Meter

		UP3499		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		3499		8/28/25 7:54		3727'47.2583"N		798'22.4725"W		0		555330.896		0		UNKNOWN		8		32768		CLASSIC		OMNI PEAK		140		100		100		0		9		31.001		1.211		10.693		Yes		8/28/25 7:54		GPS SPS VALID		13		1.64		0.73		1.47		9910		-1338		Yes		AUTONOMOUS		3D		0		0		77.953		60.63		62.992		197.511				WME		Water Meter

		UP3500		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3500		8/28/25 7:56		3727'47.3074"N		798'23.6189"W		92.449		555423.345		0		UNKNOWN		14		32768		CLASSIC		OMNI PEAK		140		35.143		100		-13		10		32.083		0.009		-63.612		Yes		8/28/25 7:56		RTK		31		0.98		0.5		0.84		9917		-1338		Yes		RTK		3D		0.8		3094		0.672		0.472		0.394		1.643				WME		Water Meter

		UP3501		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3501		8/28/25 7:57		3727'47.3469"N		798'24.4690"W		68.572		555491.917		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		1		11		14.889		0.076		50.549		Yes		8/28/25 7:57		RTK		32		0.96		0.49		0.83		9944		-1338		Yes		RTK		3D		0.6		3094		0.346		0.264		0.394		0.871				WME		Water Meter

		UP3502		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3502		8/28/25 7:58		3727'47.0156"N		798'26.5570"W		171.467		555663.384		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		-1		11		17.66		-2.278		86.234		Yes		8/28/25 7:58		RTK		32		0.97		0.5		0.83		10007		-1338		Yes		RTK		3D		0.8		3094		0.948		0.551		0.433		2.192				WME		Water Meter

		UP3503		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3503		8/28/25 7:58		3727'47.0094"N		798'26.5815"W		2.073		555665.456		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		57.589		100		-5		11		16.251		-1.113		-29.687		Yes		8/28/25 7:58		RTK		32		0.97		0.5		0.83		10005		-1338		Yes		RTK		3D		0.8		3094		0.948		0.591		0.472		2.233				WME		Water Meter

		UP3504		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3504		8/28/25 7:59		3727'47.0215"N		798'26.6024"W		2.082		555667.538		0		UNKNOWN		19		32768		CLASSIC		OMNI PEAK		140		86.855		100		0		12		15.638		-2.345		50.824		Yes		8/28/25 7:59		RTK		32		0.96		0.5		0.82		10004		-1338		Yes		RTK		3D		2		3094		0.759		0.472		0.394		1.787				WME		Water Meter

		UP3505		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3505		8/28/25 7:59		3727'47.0095"N		798'26.6259"W		2.257		555669.796		0		UNKNOWN		16		32768		CLASSIC		OMNI PEAK		140		79.377		100		-6		7		11.596		1.312		14.18		Yes		8/28/25 7:59		RTK		32		0.94		0.5		0.79		10005		-1338		Yes		RTK		3D		2.4		3094		0.948		0.551		0.433		2.192				WME		Water Meter

		UP3506		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3506		8/28/25 7:59		3727'47.0212"N		798'27.1835"W		44.918		555714.714		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		7.043		100		29		11		13.562		-0.113		26.57		Yes		8/28/25 7:59		RTK		32		0.96		0.49		0.83		10030		-1338		Yes		RTK		3D		0.6		3094		0.591		0.433		0.394		1.465				WME		Water Meter

		UP3507		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3507		8/28/25 8:01		3727'46.7859"N		798'28.8665"W		137.61		555852.324		0		UNKNOWN		70		32768		CLASSIC		OMNI PEAK		140		99.25		100		3		3		15.058		4.143		-7.911		Yes		8/28/25 8:01		FLOAT RTK		32		1.01		0.52		0.86		10097		-1338		Yes		FLOAT RTK		3D		1.4		3094		20.246		14.724		2.913		50.068				WME		Water Meter

		UP3508		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3508		8/28/25 8:02		3727'46.8023"N		798'29.9166"W		84.577		555936.901		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		25.64		100		2		8		20.021		-0.011		-59.864		Yes		8/28/25 8:02		RTK		32		1.02		0.51		0.88		10155		-1338		Yes		RTK		3D		0.8		3094		1.05		0.551		0.472		2.372				WME		Water Meter

		UP3509		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3509		8/28/25 8:02		3727'46.8976"N		798'31.5078"W		128.492		556065.394		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		38.162		100		0		13		11.557		-1.286		17.961		Yes		8/28/25 8:02		RTK		32		0.95		0.49		0.82		10217		-1338		Yes		RTK		3D		1.2		3094		0.759		0.433		0.394		1.747				WME		Water Meter

		UP3510		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3510		8/28/25 8:03		3727'46.9762"N		798'32.8356"W		107.217		556172.61		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		140		100		100		0		12		13.149		-1.083		-13.111		Yes		8/28/25 8:03		RTK		32		0.92		0.48		0.78		10233		-1338		Yes		RTK		3D		1.4		3094		0.512		0.386		0.394		1.282				WME		Water Meter

		UP3511		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3511		8/28/25 8:04		3727'47.1175"N		798'33.9033"W		87.172		556259.782		0		UNKNOWN		1		32768		CLASSIC		OMNI PEAK		140		100		100		1		4		13.671		5.318		56.956		Yes		8/28/25 8:04		RTK		32		0.92		0.48		0.78		10227		-1338		Yes		RTK		3D		1		3094		0.551		0.472		0.394		1.452				WME		Water Meter

		UP3512		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3512		8/28/25 8:05		3727'46.2624"N		798'31.5482"W		208.55		556468.332		0		UNKNOWN		27		32768		CLASSIC		OMNI PEAK		140		75.309		100		-1		11		11.599		2.665		-67.28		Yes		8/28/25 8:05		FLOAT RTK		32		0.93		0.5		0.79		10233		-1338		Yes		FLOAT RTK		3D		0.6		3094		20.246		16.933		3.031		52.788				WME		Water Meter

		UP3513		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3513		8/28/25 8:10		3727'46.1020"N		798'16.1183"W		1242.612		557710.944		0		UNKNOWN		21		32768		CLASSIC		OMNI PEAK		140		94.784		100		5		7		14.882		3.168		-83.548		Yes		8/28/25 8:10		RTK		31		0.95		0.5		0.81		9993		-1338		Yes		RTK		3D		0.8		3094		1.05		0.512		0.472		2.336				WME		Water Meter

		UP3514		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3514		8/28/25 8:15		3727'39.1500"N		798'4.0604"W		1200.105		558911.049		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		35.973		100		1		10		12.674		0.63		-83.162		Yes		8/28/25 8:15		RTK		32		0.97		0.52		0.82		10168		-1338		Yes		RTK		3D		1.4		3094		0.551		0.394		0.394		1.355				WME		Water Meter

		UP3515		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3515		8/28/25 8:16		3727'41.0999"N		798'4.2941"W		198.717		559109.766		0		UNKNOWN		55		32768		CLASSIC		OMNI PEAK		140		73.153		100		-6		8		15.1		2.797		-20.673		Yes		8/28/25 8:16		RTK		32		1.02		0.54		0.86		10181		-1338		Yes		RTK		3D		0.8		3094		0.85		0.378		0.394		1.861				WME		Water Meter

		UP3516		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3516		8/28/25 8:37		3727'44.7731"N		798'3.3937"W		379.629		559489.395		0		UNKNOWN		41		32768		CLASSIC		OMNI PEAK		140		10.756		100		-8		11		16.195		-0.91		86.858		Yes		8/28/25 8:37		RTK		30		1.27		0.61		1.11		9906		-1338		Yes		RTK		3D		3.2		3143		1.05		0.591		0.63		2.409				WME		Water Meter

		UP3517		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3517		8/28/25 8:38		3727'46.4330"N		798'3.8357"W		172.122		559661.517		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.439		100		-9		6		15.123		1.63		65.491		Yes		8/28/25 8:38		RTK		30		1.24		0.61		1.08		9942		-1338		Yes		RTK		3D		0.6		3143		0.948		0.672		0.591		2.323				WME		Water Meter

		UP3518		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3518		8/28/25 8:38		3727'47.0001"N		798'4.3608"W		71.399		559732.916		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.642		100		-15		6		14.579		0.411		-16.814		Yes		8/28/25 8:38		RTK		30		1.13		0.58		0.97		9934		-1338		Yes		RTK		3D		1.8		3143		0.551		0.433		0.472		1.402				WME		Water Meter

		UP3519		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3519		8/28/25 8:42		3727'54.6244"N		797'54.9746"W		1081.458		560814.374		0		UNKNOWN		7		32768		CLASSIC		OMNI PEAK		140		19.105		100		1		10		20.171		-0.248		-73.832		Yes		8/28/25 8:42		RTK		29		1.24		0.61		1.08		10305		-1339		Yes		RTK		3D		1.2		3143		0.472		0.386		0.394		1.22				WME		Water Meter

		UP3520		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3520		8/28/25 8:42		3727'54.6232"N		797'54.9956"W		1.702		560816.076		0		UNKNOWN		13		32768		CLASSIC		OMNI PEAK		140		7.508		100		-11		8		15.317		-1.662		30.919		Yes		8/28/25 8:42		RTK		27		1.24		0.61		1.08		10303		-1339		Yes		RTK		3D		1.6		3143		1.05		0.759		0.669		2.59				WME		Water Meter

		UP3521		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3521		8/28/25 8:43		3727'54.6348"N		797'55.0068"W		1.486		560817.563		0		UNKNOWN		68		32768		CLASSIC		OMNI PEAK		140		7.873		100		-3		11		22.642		-0.077		-67.987		Yes		8/28/25 8:43		RTK		27		1.24		0.61		1.08		10306		-1339		Yes		RTK		3D		1.4		3143		0.591		0.512		0.472		1.563				WME		Water Meter

		UP3522		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3522		8/28/25 8:43		3727'54.6311"N		797'55.0266"W		1.639		560819.202		0		UNKNOWN		10		32768		CLASSIC		OMNI PEAK		140		15.605		100		9		8		22.415		-0.925		-37.013		Yes		8/28/25 8:43		RTK		27		1.24		0.61		1.08		10303		-1339		Yes		RTK		3D		1.2		3143		1.05		0.433		0.433		2.271				WME		Water Meter

		UP3523		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3523		8/28/25 8:44		3727'54.6884"N		797'55.5353"W		41.377		560860.579		0		UNKNOWN		39		32768		CLASSIC		OMNI PEAK		140		30.061		100		4		8		13.47		0.255		77.879		Yes		8/28/25 8:44		RTK		30		1.24		0.61		1.08		10304		-1339		Yes		RTK		3D		0.8		3143		0.551		0.433		0.472		1.402				WME		Water Meter

		UP3524		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3524		8/28/25 8:44		3727'54.6858"N		797'55.5544"W		1.56		560862.139		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		8.701		100		-2		6		29.102		-1.162		42.676		Yes		8/28/25 8:44		RTK		30		1.24		0.61		1.08		10306		-1339		Yes		RTK		3D		3.8		3143		0.591		0.472		0.512		1.513				WME		Water Meter

		UP3525		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3525		8/28/25 8:45		3727'54.6752"N		797'55.5814"W		2.425		560864.564		0		UNKNOWN		78		32768		CLASSIC		OMNI PEAK		140		10.909		100		-18		9		18.864		-0.848		88.246		Yes		8/28/25 8:45		RTK		30		1.23		0.61		1.07		10304		-1339		Yes		RTK		3D		1.8		3143		0.672		0.512		0.551		1.689				WME		Water Meter

		UP3526		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3526		8/28/25 8:45		3727'54.6658"N		797'55.6027"W		1.964		560866.528		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		74.636		100		-3		12		25.852		-6.008		37.236		Yes		8/28/25 8:45		RTK		30		1.23		0.6		1.07		10301		-1339		Yes		RTK		3D		0.4		3143		0.672		0.512		0.551		1.689				WME		Water Meter

		UP3527		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3527		8/28/25 8:46		3727'54.5919"N		797'55.7160"W		11.806		560878.334		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		140		22.946		100		-2		10		21.525		-0.896		12.924		Yes		8/28/25 8:46		RTK		30		1.23		0.6		1.07		10293		-1339		Yes		RTK		3D		0.8		3143		0.512		0.433		0.433		1.341				WME		Water Meter

		UP3528		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3528		8/28/25 8:46		3727'54.5789"N		797'55.7195"W		1.346		560879.68		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		4.739		100		17		7		35.094		0.923		15.693		Yes		8/28/25 8:46		RTK		30		1.23		0.6		1.07		10290		-1339		Yes		RTK		3D		1.4		3143		0.672		0.512		0.551		1.689				WME		Water Meter

		UP3529		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3529		8/28/25 8:46		3727'54.5692"N		797'55.7309"W		1.353		560881.033		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		7.232		100		-8		11		20.466		1.855		-81.04		Yes		8/28/25 8:46		RTK		30		1.23		0.6		1.07		10290		-1339		Yes		RTK		3D		4		3143		0.948		0.672		0.63		2.323				WME		Water Meter

		UP3530		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3530		8/28/25 8:46		3727'54.5591"N		797'55.7370"W		1.129		560882.162		0		UNKNOWN		9		32768		CLASSIC		OMNI PEAK		140		7.83		100		7		8		33.077		0.36		-6.397		Yes		8/28/25 8:46		RTK		30		1.23		0.6		1.07		10291		-1339		Yes		RTK		3D		1.4		3143		0.759		0.591		0.591		1.923				WME		Water Meter

		UP3531		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3531		8/28/25 8:47		3727'54.2671"N		797'55.9295"W		33.44		560915.602		0		UNKNOWN		13		32768		CLASSIC		OMNI PEAK		140		11.444		100		-4		9		22.253		-0.764		77.942		Yes		8/28/25 8:47		RTK		27		1.23		0.6		1.07		10280		-1339		Yes		RTK		3D		0.8		3143		0.948		0.591		0.669		2.233				WME		Water Meter

		UP3532		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3532		8/28/25 8:47		3727'54.2567"N		797'55.9344"W		1.125		560916.727		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		26.912		100		-3		10		33.236		0.361		-65.08		Yes		8/28/25 8:48		RTK		27		1.22		0.6		1.07		10275		-1339		Yes		RTK		3D		1.6		3143		0.948		0.672		0.669		2.323				WME		Water Meter

		UP3533		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3533		8/28/25 8:48		3727'54.2428"N		797'55.9401"W		1.483		560918.209		0		UNKNOWN		1		32768		CLASSIC		OMNI PEAK		140		26.584		100		0		11		25.315		-0.327		65.373		Yes		8/28/25 8:48		RTK		27		1.25		0.61		1.09		10276		-1339		Yes		RTK		3D		6.6		3143		0.759		0.672		0.63		2.027				WME		Water Meter

		UP3534		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3534		8/28/25 8:48		3727'54.2300"N		797'55.9483"W		1.455		560919.664		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		19.402		100		1		8		32.303		-3.834		-83.168		Yes		8/28/25 8:48		RTK		27		1.22		0.6		1.06		10278		-1339		Yes		RTK		3D		3.8		3143		0.759		0.672		0.591		2.027				WME		Water Meter

		UP3535		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3535		8/28/25 8:48		3727'53.7156"N		797'56.3200"W		60.164		560979.828		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.119		100		0		11		15.543		0.024		32.28		Yes		8/28/25 8:48		RTK		27		1.25		0.61		1.09		10246		-1339		Yes		RTK		3D		1.2		3143		1.512		0.85		0.787		3.469				WME		Water Meter

		UP3536		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3536		8/28/25 8:52		3727'53.5290"N		797'53.9693"W		190.233		561170.061		0		UNKNOWN		61		32768		CLASSIC		OMNI PEAK		140		3.535		100		-58		10		15.406		0.968		-58.343		Yes		8/28/25 8:52		RTK		26		1.29		0.63		1.13		10224		-1339		Yes		RTK		3D		1.4		3143		1.157		0.472		0.591		2.5				WME		Water Meter

		UP3537		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3537		8/28/25 8:52		3727'53.5153"N		797'53.9789"W		1.594		561171.655		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		3.574		100		11		10		17.34		-0.682		84.019		Yes		8/28/25 8:52		RTK		25		1.3		0.63		1.14		10221		-1339		Yes		RTK		3D		5.6		3143		1.512		0.591		0.669		3.246				WME		Water Meter

		UP3538		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3538		8/28/25 8:53		3727'53.5005"N		797'53.9895"W		1.72		561173.375		0		UNKNOWN		64		32768		CLASSIC		OMNI PEAK		140		9.387		100		-27		8		15.788		6.383		-31.481		Yes		8/28/25 8:53		RTK		27		1.27		0.62		1.11		10214		-1339		Yes		RTK		3D		0.6		3143		1.157		0.512		0.748		2.531				WME		Water Meter

		UP3539		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3539		8/28/25 8:53		3727'53.4822"N		797'53.9992"W		2.017		561175.392		0		UNKNOWN		46		32768		CLASSIC		OMNI PEAK		140		7.949		100		27		9		19.773		0.751		29.105		Yes		8/28/25 8:53		RTK		26		1.27		0.62		1.11		10222		-1339		Yes		RTK		3D		4.4		3143		1.388		0.591		0.709		3.018				WME		Water Meter

		UP3540		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3540		8/28/25 8:55		3727'52.9194"N		797'54.3149"W		62.506		561237.898		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		5.842		100		2		7		26.06		1.156		-22.195		Yes		8/28/25 8:55		RTK		27		1.22		0.6		1.06		10210		-1339		Yes		RTK		3D		1.4		3143		1.27		0.591		0.669		2.802				WME		Water Meter

		UP3541		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3541		8/28/25 8:55		3727'52.9035"N		797'54.3236"W		1.751		561239.649		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		1.311		100		8		7		16.715		-0.591		63.731		Yes		8/28/25 8:55		RTK		28		1.35		0.67		1.18		10208		-1339		Yes		RTK		3D		0.8		3143		0.85		0.394		0.512		1.874				WME		Water Meter

		UP3542		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3542		8/28/25 8:55		3727'52.8895"N		797'54.3358"W		1.729		561241.378		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.773		100		8		8		28.845		-1.104		61.265		Yes		8/28/25 8:55		RTK		29		1.24		0.64		1.06		10211		-1339		Yes		RTK		3D		1		3143		2.207		1.05		0.866		4.889				WME		Water Meter

		UP3543		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3543		8/28/25 8:55		3727'52.8698"N		797'54.3454"W		2.142		561243.521		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.007		100		1		10		21.312		-0.72		-9.47		Yes		8/28/25 8:55		RTK		29		1.28		0.64		1.1		10207		-1339		Yes		RTK		3D		4		3143		1.388		0.759		0.748		3.164				WME		Water Meter

		UP3544		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3544		8/28/25 8:56		3727'52.6599"N		797'53.4280"W		76.877		561320.398		0		UNKNOWN		24		32768		CLASSIC		OMNI PEAK		140		9.299		100		-1		7		16.321		-0.567		-49.044		Yes		8/28/25 8:56		FLOAT RTK		29		1.34		0.69		1.15		10234		-1339		Yes		FLOAT RTK		3D		1.2		3143		22.087		16.565		3.346		55.217				WME		Water Meter

		UP3545		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3545		8/28/25 8:56		3727'52.6448"N		797'53.4325"W		1.567		561321.965		0		UNKNOWN		25		32768		CLASSIC		OMNI PEAK		140		15.658		100		0		11		20.544		-0.561		-55.055		Yes		8/28/25 8:56		FLOAT RTK		27		1.34		0.69		1.15		10222		-1339		Yes		FLOAT RTK		3D		3.8		3143		23.927		18.406		3.78		60.375				WME		Water Meter

		UP3546		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3546		8/28/25 8:56		3727'52.6248"N		797'53.4637"W		3.234		561325.2		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		24.42		100		5		11		12.753		5.312		19.311		Yes		8/28/25 8:56		FLOAT RTK		29		1.32		0.66		1.14		10229		-1339		Yes		FLOAT RTK		3D		4.6		3143		27.608		22.087		4.331		70.712				WME		Water Meter

		UP3547		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3547		8/28/25 8:56		3727'52.6351"N		797'53.4546"W		1.278		561326.478		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		5.176		100		1		6		17.088		-1.971		-55.663		Yes		8/28/25 8:56		RTK		29		1.23		0.63		1.06		10238		-1339		Yes		RTK		3D		2.2		3143		3.034		1.913		0.984		7.174				WME		Water Meter

		UP3548		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3548		8/28/25 8:57		3727'53.2238"N		797'53.1136"W		65.732		561392.21		0		UNKNOWN		58		32768		CLASSIC		OMNI PEAK		140		12.246		100		-5		10		18.057		3.03		85.097		Yes		8/28/25 8:57		FLOAT RTK		29		1.23		0.63		1.06		10210		-1339		Yes		FLOAT RTK		3D		1		3143		8.098		4.233		0.984		18.276				WME		Water Meter

		UP3549		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3549		8/28/25 8:58		3727'53.2575"N		797'53.1048"W		3.487		561395.697		0		UNKNOWN		14		32768		CLASSIC		OMNI PEAK		140		7.584		100		109		10		27.78		-0.255		74.203		Yes		8/28/25 8:58		FLOAT RTK		30		1.22		0.62		1.05		10244		-1339		Yes		FLOAT RTK		3D		1.2		3143		5.338		2.945		0.63		12.192				WME		Water Meter

		UP3550		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3550		8/28/25 8:58		3727'53.2502"N		797'53.0926"W		1.227		561396.924		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		140		21.788		100		-3		10		21.316		0.885		-1.085		Yes		8/28/25 8:58		FLOAT RTK		27		1.32		0.68		1.13		10217		-1339		Yes		FLOAT RTK		3D		1		3143		5.706		3.865		0.827		13.783				WME		Water Meter

		UP3551		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3551		8/28/25 8:59		3727'53.2647"N		797'53.0871"W		1.539		561398.463		0		UNKNOWN		42		32768		CLASSIC		OMNI PEAK		140		5.598		100		-16		7		31.182		-0.743		55.638		Yes		8/28/25 8:59		FLOAT RTK		27		1.31		0.66		1.13		10222		-1339		Yes		FLOAT RTK		3D		1.4		3143		5.706		3.865		0.787		13.783				WME		Water Meter

		UP3552		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3552		8/28/25 9:01		3727'57.4090"N		797'54.7052"W		440.163		561838.626		0		UNKNOWN		326		32768		CLASSIC		OMNI PEAK		140		14.289		100		2		7		33.124		-1.564		43.956		Yes		8/28/25 9:01		RTK		31		1.19		0.6		1.03		10495		-1339		Yes		RTK		3D		0.6		3143		0.759		0.551		0.63		1.875				WME		Water Meter

		UP3553		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3553		8/28/25 9:08		3727'55.5752"N		797'46.6533"W		674.527		562513.154		0		UNKNOWN		16		32768		CLASSIC		OMNI PEAK		140		80.87		100		-7		7		15.185		5.107		20.324		Yes		8/28/25 9:08		RTK		32		1.06		0.56		0.9		10408		-1339		Yes		RTK		3D		1.2		3143		0.472		0.433		0.394		1.282				WME		Water Meter

		UP3554		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3554		8/28/25 9:09		3727'53.5523"N		797'47.7504"W		223.428		562736.582		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		25.029		100		4		7		26.43		-0.227		67.727		Yes		8/28/25 9:09		RTK		32		1.02		0.54		0.86		10253		-1339		Yes		RTK		3D		0.8		3143		0.759		0.394		0.433		1.709				WME		Water Meter

		UP3555		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3555		8/28/25 9:10		3727'52.7839"N		797'48.1712"W		84.995		562821.577		0		UNKNOWN		33		32768		CLASSIC		OMNI PEAK		140		84.206		100		-5		11		18.103		-0.168		-72.305		Yes		8/28/25 9:10		RTK		32		1.02		0.54		0.86		10221		-1339		Yes		RTK		3D		1.4		3143		0.433		0.394		0.394		1.171				WME		Water Meter

		UP3556		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3556		8/28/25 9:11		3727'51.6060"N		797'48.7324"W		127.764		562949.341		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		22.765		100		-5		11		15.873		-1.632		-30.944		Yes		8/28/25 9:11		RTK		32		1.02		0.54		0.86		10121		-1339		Yes		RTK		3D		1.2		3143		1.05		0.85		0.709		2.702				WME		Water Meter

		UP3557		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3557		8/28/25 9:13		3727'49.9283"N		797'49.4730"W		180.35		563129.692		0		UNKNOWN		15		32768		CLASSIC		OMNI PEAK		140		73.192		100		-14		10		14.049		-0.439		83.603		Yes		8/28/25 9:13		RTK		32		1.01		0.54		0.85		9912		-1339		Yes		RTK		3D		0.6		3143		0.512		0.472		0.394		1.393				WME		Water Meter

		UP3558		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3558		8/28/25 9:15		3727'48.4750"N		797'50.2639"W		160.605		563290.297		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		5		10		32.055		-1.14		-3.945		Yes		8/28/25 9:15		RTK		31		1.04		0.56		0.88		9923		-1339		Yes		RTK		3D		1.4		3143		0.433		0.374		0.394		1.144				WME		Water Meter

		UP3559		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3559		8/28/25 9:16		3727'46.6230"N		797'50.1706"W		188.029		563478.326		0		UNKNOWN		38		32768		CLASSIC		OMNI PEAK		140		63.224		100		0		9		20.467		-3.19		-31.548		Yes		8/28/25 9:16		RTK		31		1.04		0.56		0.88		9839		-1339		Yes		RTK		3D		0.8		3143		1.157		1.05		0.669		3.125				WME		Water Meter

		UP3560		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3560		8/28/25 9:18		3727'45.9584"N		797'49.2845"W		98.167		563576.494		0		UNKNOWN		1		32768		CLASSIC		OMNI PEAK		140		100		100		-2		9		25.42		-0.207		65.574		Yes		8/28/25 9:18		RTK		28		1.04		0.57		0.87		9745		-1339		Yes		RTK		3D		1.6		3143		1.27		0.948		0.866		3.17				WME		Water Meter

		UP3561		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3561		8/28/25 9:19		3727'46.5978"N		797'49.5772"W		69.017		563645.511		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		6.628		100		-1		9		23.298		-0.608		41.312		Yes		8/28/25 9:19		RTK		29		1.03		0.56		0.87		9823		-1339		Yes		RTK		3D		1		3143		1.05		0.672		0.591		2.493				WME		Water Meter

		UP3562		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3562		8/28/25 9:19		3727'47.8765"N		797'49.6544"W		129.875		563775.385		0		UNKNOWN		25		32768		CLASSIC		OMNI PEAK		140		100		100		-2		9		19.341		-1.794		-58.448		Yes		8/28/25 9:19		RTK		30		1.03		0.56		0.87		9913		-1339		Yes		RTK		3D		2		3143		0.472		0.433		0.394		1.282				WME		Water Meter

		UP3563		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3563		8/28/25 9:20		3727'48.6598"N		797'49.4157"W		81.758		563857.143		0		UNKNOWN		75		32768		CLASSIC		OMNI PEAK		140		100		100		1		11		18.928		-2.829		-71.897		Yes		8/28/25 9:20		RTK		31		1.03		0.56		0.87		9934		-1339		Yes		RTK		3D		1.2		3143		0.362		0.335		0.394		0.986				WME		Water Meter

		UP3564		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3564		8/28/25 9:24		3727'50.0429"N		797'48.6859"W		152.123		564009.266		0		UNKNOWN		61		32768		CLASSIC		OMNI PEAK		140		41.402		100		-14		10		15.725		-2.269		-78.619		Yes		8/28/25 9:24		RTK		31		1.02		0.56		0.86		9971		-1339		Yes		RTK		3D		1		3143		0.759		0.591		0.512		1.923				WME		Water Meter

		UP3565		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3565		8/28/25 9:24		3727'51.4766"N		797'48.1037"W		152.822		564162.088		0		UNKNOWN		76		32768		CLASSIC		OMNI PEAK		140		66.672		100		7		9		22.592		0.963		-72.85		Yes		8/28/25 9:24		RTK		31		1.02		0.56		0.85		10087		-1339		Yes		RTK		3D		1.2		3143		1.05		0.948		0.827		2.828				WME		Water Meter

		UP3566		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3566		8/28/25 9:26		3727'52.3377"N		797'47.6932"W		93.398		564255.487		0		UNKNOWN		17		32768		CLASSIC		OMNI PEAK		140		78.275		100		-12		7		39.816		-0.244		85.648		Yes		8/28/25 9:26		RTK		29		1.1		0.58		0.93		10194		-1339		Yes		RTK		3D		0.6		3143		0.472		0.433		0.394		1.282				WME		Water Meter

		UP3567		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3567		8/28/25 9:29		3727'53.2676"N		797'47.2024"W		102.281		564357.768		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		60.827		100		9		10		19.409		-0.488		-27.977		Yes		8/28/25 9:29		RTK		30		1.09		0.58		0.92		10258		-1339		Yes		RTK		3D		1.2		3143		0.433		0.323		0.394		1.08				WME		Water Meter

		UP3568		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3568		8/28/25 9:31		3727'55.8031"N		797'45.9644"W		275.87		564633.638		0		UNKNOWN		144		32768		CLASSIC		OMNI PEAK		140		81.439		100		-5		10		17.545		1.828		34.041		Yes		8/28/25 9:31		RTK		31		1.08		0.58		0.9		10453		-1339		Yes		RTK		3D		0.8		3143		0.512		0.394		0.394		1.291				WME		Water Meter

		UP3569		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3569		8/28/25 9:33		3727'58.6830"N		797'44.6262"W		311.401		564945.039		0		UNKNOWN		15		32768		CLASSIC		OMNI PEAK		140		100		100		-12		8		15.729		-0.185		-18.241		Yes		8/28/25 9:33		RTK		31		1.07		0.58		0.89		10457		-1339		Yes		RTK		3D		1.4		3143		0.759		0.591		0.551		1.923				WME		Water Meter

		UP3570		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3570		8/28/25 9:36		3727'48.7533"N		797'46.2354"W		1015.666		565960.705		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		8.591		100		-2		9		22.182		-2.604		-67.478		Yes		8/28/25 9:36		RTK		31		1.02		0.57		0.84		9888		-1339		Yes		RTK		3D		0.6		3143		2.522		1.64		0.945		6.018				WME		Water Meter

		UP3571		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3571		8/28/25 9:37		3727'49.7343"N		797'45.9422"W		102.279		566062.984		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		48.853		100		7		4		26.481		0.092		-28.71		Yes		8/28/25 9:37		RTK		30		1.01		0.57		0.83		10019		-1339		Yes		RTK		3D		0.8		3143		0.948		0.85		0.63		2.546				WME		Water Meter

		UP3572		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3572		8/28/25 9:38		3727'51.7694"N		797'45.1006"W		217.301		566280.285		0		UNKNOWN		7		32768		CLASSIC		OMNI PEAK		140		100		100		1		9		19.189		0.778		-31.219		Yes		8/28/25 9:38		RTK		31		1.06		0.59		0.88		10225		-1339		Yes		RTK		3D		0.8		3143		1.157		0.85		0.669		2.873				WME		Water Meter

		UP3573		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3573		8/28/25 9:39		3727'52.2280"N		797'44.8392"W		51.068		566331.352		0		UNKNOWN		1		32768		CLASSIC		OMNI PEAK		140		100		100		-29		9		32.871		0.138		0.855		Yes		8/28/25 9:39		RTK		31		1.06		0.6		0.88		10270		-1339		Yes		RTK		3D		0.4		3143		0.394		0.307		0.394		0.999				WME		Water Meter

		UP3574		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3574		8/28/25 9:40		3727'53.9807"N		797'44.1988"W		185.14		566516.492		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		39.293		100		-3		11		26.9		-2.444		19.956		Yes		8/28/25 9:40		RTK		31		1.06		0.6		0.88		10350		-1339		Yes		RTK		3D		1.2		3143		0.551		0.433		0.433		1.402				WME		Water Meter

		UP3575		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3575		8/28/25 9:41		3727'55.5355"N		797'43.5053"W		167.332		566683.825		0		UNKNOWN		1		32768		CLASSIC		OMNI PEAK		140		100		100		3		7		18.199		2.279		-24.289		Yes		8/28/25 9:41		RTK		31		1.06		0.6		0.87		10449		-1339		Yes		RTK		3D		1.2		3143		1.05		0.672		0.551		2.493				WME		Water Meter

		UP3576		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3576		8/28/25 9:42		3727'56.7922"N		797'42.8611"W		137.638		566821.462		0		UNKNOWN		41		32768		CLASSIC		OMNI PEAK		140		100		100		0		10		25.799		-1.371		3.71		Yes		8/28/25 9:42		RTK		31		1.06		0.6		0.87		10506		-1339		Yes		RTK		3D		1.2		3143		0.551		0.512		0.472		1.504				WME		Water Meter

		UP3577		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3577		8/28/25 9:45		3727'58.4256"N		797'39.8623"W		292.86		567114.322		0		UNKNOWN		26		32768		CLASSIC		OMNI PEAK		140		79.224		100		35		10		19.672		0.076		69.066		Yes		8/28/25 9:45		RTK		31		1.05		0.6		0.86		10501		-1339		Yes		RTK		3D		0.8		3143		0.672		0.591		0.512		1.789				WME		Water Meter

		UP3578		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3578		8/28/25 9:46		3727'58.5433"N		797'41.2603"W		113.203		567227.525		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		8		9		19.918		-1.114		-27.616		Yes		8/28/25 9:46		RTK		31		1.05		0.6		0.86		10499		-1339		Yes		RTK		3D		1.4		3143		0.551		0.472		0.433		1.452				WME		Water Meter

		UP3579		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3579		8/28/25 9:46		3727'58.8246"N		797'39.6175"W		135.326		567362.851		0		UNKNOWN		27		32768		CLASSIC		OMNI PEAK		140		91.628		100		-9		9		13.972		-0.491		56.297		Yes		8/28/25 9:46		RTK		31		1.05		0.6		0.86		10495		-1339		Yes		RTK		3D		1.6		3143		1.774		1.157		0.709		4.237				WME		Water Meter

		UP3580		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3580		8/28/25 9:48		3727'59.1806"N		797'35.0158"W		372.3		567735.151		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		21.859		100		1		10		25.795		0.504		82.767		Yes		8/28/25 9:48		RTK		29		1.16		0.66		0.96		10625		-1339		Yes		RTK		3D		0.8		3143		1.512		1.157		0.748		3.808				WME		Water Meter

		UP3581		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3581		8/28/25 9:49		3727'59.1977"N		797'34.9890"W		2.764		567737.915		0		UNKNOWN		21		32768		CLASSIC		OMNI PEAK		140		100		100		-17		11		23.735		-2.164		-61.219		Yes		8/28/25 9:49		RTK		29		1.16		0.66		0.96		10625		-1339		Yes		RTK		3D		2		3143		0.591		0.551		0.433		1.616				WME		Water Meter

		UP3582		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3582		8/28/25 9:52		3728'2.3476"N		797'19.5877"W		1280.647		569018.563		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		140		100		100		2		8		13.167		2.364		63.852		Yes		8/28/25 9:52		RTK		29		1.05		0.6		0.86		10360		-1339		Yes		RTK		3D		1.4		3143		0.512		0.394		0.394		1.291				WME		Water Meter

		UP3583		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3583		8/28/25 9:54		3728'2.3882"N		797'19.8921"W		24.853		569043.416		0		UNKNOWN		14		32768		CLASSIC		OMNI PEAK		140		79.05		100		-4		7		19.342		0.428		33.099		Yes		8/28/25 9:54		RTK		30		1.04		0.6		0.86		10360		-1339		Yes		RTK		3D		0.8		3143		0.512		0.433		0.394		1.341				WME		Water Meter

		UP3584		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3584		8/28/25 10:01		3728'4.9078"N		798'16.4829"W		0		569043.416		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		0		11		18.077		-0.199		-25.305		Yes		8/28/25 10:01		RTK		30		0.98		0.58		0.79		9924		-1338		Yes		RTK		3D		1.2		3143		0.759		0.591		0.512		1.923				WME		Water Meter

		UP3585		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3585		8/28/25 10:02		3728'4.4472"N		798'15.6608"W		81.031		569124.447		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		0		5		17.106		-2.557		-23.416		Yes		8/28/25 10:02		RTK		30		1.02		0.62		0.81		9976		-1338		Yes		RTK		3D		1.4		3143		0.948		0.591		0.591		2.233				WME		Water Meter

		UP3586		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3586		8/28/25 10:15		3730'13.0458"N		7911'8.5386"W		0		569124.447		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		19.577		100		-104		6		15.777		0.135		-63.935		Yes		8/28/25 10:15		RTK		30		1.02		0.6		0.82		10005		-1337		Yes		RTK		3D		0.8		3143		0.512		0.472		0.394		1.393				WME		Water Meter

		UP3587		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3587		8/28/25 10:16		3730'12.3969"N		7911'7.8304"W		87.075		569211.523		0		UNKNOWN		51		32768		CLASSIC		OMNI PEAK		140		100		100		1		9		35.285		0.803		-78.456		Yes		8/28/25 10:16		RTK		30		1.02		0.6		0.82		10102		-1337		Yes		RTK		3D		0.4		3143		0.512		0.433		0.394		1.341				WME		Water Meter

		UP3588		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3588		8/28/25 10:19		3730'20.7463"N		7911'15.2348"W		1035.666		570247.189		0		UNKNOWN		116		32768		CLASSIC		OMNI PEAK		140		78.051		100		-1		8		19.703		1.816		45.501		Yes		8/28/25 10:19		RTK		30		1.11		0.64		0.91		10179		-1337		Yes		RTK		3D		1.2		3143		0.85		0.551		0.512		2.027				WME		Water Meter

		UP3589		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3589		8/28/25 10:21		3730'19.9269"N		7911'14.3959"W		107.089		570354.278		0		UNKNOWN		5		32768		CLASSIC		OMNI PEAK		140		100		100		-2		10		23.875		-2.293		-36.429		Yes		8/28/25 10:21		RTK		29		1.11		0.64		0.9		10148		-1337		Yes		RTK		3D		0.8		3143		0.759		0.433		0.472		1.747				WME		Water Meter

		UP3590		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3590		8/28/25 11:03		3729'49.7437"N		7911'14.5684"W		3062.134		573416.412		0		UNKNOWN		38		32768		CLASSIC		OMNI PEAK		140		4.557		100		24		6		43.092		0.382		-1.757		Yes		8/28/25 11:03		RTK		25		1.16		0.61		0.98		10187		-1337		Yes		RTK		3D		1		3379		1.05		0.948		0.591		2.828				WME		Water Meter

		UP3591		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3591		8/28/25 11:04		3729'45.6148"N		7911'19.1981"W		560.64		573977.051		0		UNKNOWN		137		32768		CLASSIC		OMNI PEAK		140		8.456		100		22		7		21.845		2.874		-45.788		Yes		8/28/25 11:04		FLOAT RTK		25		1.16		0.61		0.98		10070		-1337		Yes		FLOAT RTK		3D		0.6		3379		47.854		38.652		6.299		123.028				WME		Water Meter

		UP3592		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3592		8/28/25 11:06		3729'35.7748"N		7911'29.1271"W		1278.782		575255.833		0		UNKNOWN		35		32768		CLASSIC		OMNI PEAK		140		20.894		100		25		7		22.73		-0.882		4.228		Yes		8/28/25 11:06		FLOAT RTK		25		1.17		0.61		1		9918		-1337		Yes		FLOAT RTK		3D		0.4		3379		3.313		2.945		0.472		8.865				WME		Water Meter

		UP3593		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3593		8/28/25 11:07		3729'30.0449"N		7911'39.4353"W		1013.113		576268.946		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		1.652		100		-27		5		18.066		-1.32		-17.408		Yes		8/28/25 11:07		RTK		25		1.25		0.65		1.07		9986		-1337		Yes		RTK		3D		0.8		3379		0.85		0.672		0.551		2.168				WME		Water Meter

		UP3594		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3594		8/28/25 11:11		3729'14.8656"N		7911'55.7737"W		2025.131		578294.076		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		70.502		100		10		8		18.63		-0.367		53.888		Yes		8/28/25 11:11		RTK		26		1.25		0.64		1.07		9083		-1337		Yes		RTK		3D		0.8		3379		0.472		0.433		0.394		1.282				WME		Water Meter

		UP3595		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3595		8/28/25 11:14		3728'57.5345"N		7911'54.8053"W		1759.976		580054.052		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		10.872		100		9		9		26.291		-1.371		-46.731		Yes		8/28/25 11:14		RTK		25		1.26		0.63		1.09		8723		-1337		Yes		RTK		3D		0.8		3379		1.512		1.157		0.748		3.808				WME		Water Meter

		UP3596		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3596		8/28/25 11:17		3728'42.3714"N		7911'59.0917"W		1576.535		581630.587		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		50.751		100		4		12		16.182		-1.328		-4.889		Yes		8/28/25 11:17		RTK		26		1.2		0.6		1.04		8011		-1337		Yes		RTK		3D		0.4		3379		0.759		0.551		0.472		1.875				WME		Water Meter

		UP3597		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3597		8/28/25 11:19		3728'41.7180"N		7911'56.0020"W		257.425		581888.012		0		UNKNOWN		10		32768		CLASSIC		OMNI PEAK		140		100		100		-21		9		18.84		-0.134		41.948		Yes		8/28/25 11:19		FLOAT RTK		29		1.21		0.6		1.04		7905		-1337		Yes		FLOAT RTK		3D		0.8		3379		8.467		5.522		0.827		20.216				WME		Water Meter

		UP3598		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3598		8/28/25 11:21		3728'40.7390"N		7911'51.4346"W		380.897		582268.909		0		UNKNOWN		44		32768		CLASSIC		OMNI PEAK		140		52.982		100		-1		8		15.79		-1.899		-24.237		Yes		8/28/25 11:21		RTK		28		1.11		0.58		0.95		7793		-1337		Yes		RTK		3D		1.4		3379		0.759		0.672		0.433		2.027				WME		Water Meter

		UP3599		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3599		8/28/25 11:22		3728'40.6000"N		7911'50.4335"W		81.824		582350.733		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		14.692		100		2		9		14.866		-5.096		-20.192		Yes		8/28/25 11:22		RTK		28		1.12		0.58		0.95		7750		-1337		Yes		RTK		3D		1.2		3379		0.759		0.551		0.472		1.875				WME		Water Meter

		UP3600		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3600		8/28/25 11:23		3728'40.0756"N		7911'47.8094"W		217.867		582568.601		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		27.099		100		0		10		16.033		-1.012		63.31		Yes		8/28/25 11:23		RTK		27		1.21		0.6		1.05		7700		-1337		Yes		RTK		3D		0.8		3379		0.551		0.512		0.433		1.504				WME		Water Meter

		UP3601		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3601		8/28/25 11:25		3728'39.6451"N		7911'44.0436"W		306.307		582874.907		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		140		100		100		3		10		13.792		-1.51		-33.925		Yes		8/28/25 11:25		RTK		29		1.12		0.58		0.96		7599		-1337		Yes		RTK		3D		0.6		3379		0.759		0.512		0.472		1.83				WME		Water Meter

		UP3602		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3602		8/28/25 11:25		3728'39.5296"N		7911'43.9919"W		12.436		582887.343		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		-3		10		10.165		-3.149		-17.735		Yes		8/28/25 11:25		RTK		28		1.15		0.58		1		7581		-1337		Yes		RTK		3D		0.6		3379		0.948		0.672		0.551		2.323				WME		Water Meter

		UP3603		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3603		8/28/25 11:35		3729'49.3777"N		7910'52.3793"W		0		582887.343		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		97.783		100		1		9		13.505		-0.332		-87.977		Yes		8/28/25 11:35		RTK		29		1.12		0.58		0.96		9642		-1337		Yes		RTK		3D		0.8		3379		0.759		0.591		0.472		1.923				WME		Water Meter

		UP3604		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3604		8/28/25 11:36		3729'45.5717"N		7910'53.6451"W		399.338		583286.681		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		29.096		100		18		10		14.177		-2.631		-82.671		Yes		8/28/25 11:37		FLOAT RTK		30		1.04		0.56		0.87		9450		-1337		Yes		FLOAT RTK		3D		1		3379		8.467		5.89		1.26		20.627				WME		Water Meter

		UP3605		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3605		8/28/25 11:37		3729'44.9333"N		7910'52.9213"W		87.115		583373.796		0		UNKNOWN		16		32768		CLASSIC		OMNI PEAK		140		69.841		100		10		9		11.214		0.48		-41.402		Yes		8/28/25 11:37		RTK		27		1.04		0.56		0.87		9438		-1337		Yes		RTK		3D		1.2		3379		1.774		0.948		0.669		4.023				WME		Water Meter

		UP3606		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3606		8/28/25 11:40		3729'46.8140"N		7910'50.5926"W		267.458		583641.253		0		UNKNOWN		95		32768		CLASSIC		OMNI PEAK		140		100		100		-15		5		25.357		-2.311		-41.625		Yes		8/28/25 11:40		FLOAT RTK		30		1.12		0.58		0.96		9677		-1337		Yes		FLOAT RTK		3D		0.8		3379		11.043		8.282		1.575		27.608				WME		Water Meter

		UP3607		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3607		8/28/25 11:42		3729'42.1794"N		7910'49.5249"W		477.964		584119.218		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		65.466		100		-29		7		13.993		1.087		62.207		Yes		8/28/25 11:42		RTK		30		1.12		0.58		0.96		9443		-1337		Yes		RTK		3D		0.8		3379		1.388		1.05		0.551		3.481				WME		Water Meter

		UP3608		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3608		8/28/25 11:43		3729'41.4528"N		7910'51.6292"W		184.726		584303.944		0		UNKNOWN		38		32768		CLASSIC		OMNI PEAK		140		77.117		100		8		12		16.071		1.087		-8.574		Yes		8/28/25 11:43		RTK		30		1.03		0.56		0.87		9389		-1337		Yes		RTK		3D		0.8		3379		1.05		0.472		0.394		2.303				WME		Water Meter

		UP3609		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3609		8/28/25 11:44		3729'40.7600"N		7910'51.8466"W		72.427		584376.371		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		60.745		100		-1		8		11.336		2.96		-63.811		Yes		8/28/25 11:44		RTK		30		1.03		0.56		0.87		9372		-1337		Yes		RTK		3D		0.8		3379		0.759		0.551		0.472		1.875				WME		Water Meter

		UP3610		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3610		8/28/25 11:44		3729'40.4796"N		7910'51.5196"W		38.753		584415.124		0		UNKNOWN		7		32768		CLASSIC		OMNI PEAK		140		100		100		3		6		13.425		0.879		60.438		Yes		8/28/25 11:44		RTK		29		1.03		0.56		0.87		9390		-1337		Yes		RTK		3D		0.8		3379		1.27		0.591		0.512		2.802				WME		Water Meter

		UP3611		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3611		8/28/25 11:44		3729'40.4398"N		7910'50.8269"W		55.904		584471.027		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		14.53		100		-10		8		13.929		0.489		-37.369		Yes		8/28/25 11:44		RTK		29		1.03		0.56		0.87		9392		-1337		Yes		RTK		3D		1		3379		0.672		0.433		0.394		1.599				WME		Water Meter

		UP3612		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3612		8/28/25 11:45		3729'40.5093"N		7910'50.5220"W		25.535		584496.563		0		UNKNOWN		5		32768		CLASSIC		OMNI PEAK		140		99.318		100		3		7		20.992		-2.128		-9.379		Yes		8/28/25 11:45		RTK		29		1.11		0.58		0.95		9397		-1337		Yes		RTK		3D		1		3379		0.948		0.672		0.472		2.323				WME		Water Meter

		UP3613		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3613		8/28/25 11:46		3729'41.1867"N		7910'49.8864"W		85.675		584582.237		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		16.051		100		-81		12		9.458		-1.108		-56.97		Yes		8/28/25 11:46		RTK		30		1.17		0.61		1		9450		-1337		Yes		RTK		3D		0.8		3379		0.759		0.672		0.472		2.027				WME		Water Meter

		UP3614		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3614		8/28/25 11:47		3729'42.0486"N		7910'48.8215"W		122.446		584704.683		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		48.433		100		5		13		18.254		-6.623		36.704		Yes		8/28/25 11:47		RTK		31		1.03		0.56		0.86		9457		-1337		Yes		RTK		3D		1.2		3379		0.551		0.472		0.394		1.452				WME		Water Meter

		UP3615		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3615		8/28/25 11:48		3729'43.0862"N		7910'48.1522"W		118.251		584822.934		0		UNKNOWN		75		32768		CLASSIC		OMNI PEAK		140		45.178		100		0		9		16.516		-1.527		33.516		Yes		8/28/25 11:48		RTK		31		1.11		0.58		0.94		9474		-1337		Yes		RTK		3D		0.8		3379		1.512		0.759		0.591		3.383				WME		Water Meter

		UP3616		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3616		8/28/25 11:49		3729'44.3714"N		7910'48.1921"W		130.421		584953.355		0		UNKNOWN		22		32768		CLASSIC		OMNI PEAK		140		55.004		100		-20		10		17.074		-5		-83.424		Yes		8/28/25 11:49		RTK		31		1.02		0.56		0.86		9544		-1337		Yes		RTK		3D		0.8		3379		0.394		0.354		0.394		1.059				WME		Water Meter

		UP3617		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3617		8/28/25 11:52		3729'47.0636"N		7910'49.9073"W		306.031		585259.386		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		6.825		100		0		12		25.166		-3.688		-29.489		Yes		8/28/25 11:52		RTK		30		1.02		0.56		0.85		9697		-1337		Yes		RTK		3D		1.2		3379		0.591		0.512		0.433		1.563				WME		Water Meter

		UP3618		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3618		8/28/25 13:14		3727'54.7690"N		797'8.6333"W		0		585259.386		0		UNKNOWN		109		32768		CLASSIC		OMNI PEAK		140		5.862		100		0		7		16.787		-0.947		-66.21		Yes		8/28/25 13:14		RTK		23		1.44		0.71		1.25		10214		-1339		Yes		RTK		3D		0.4		3512		1.388		0.672		0.748		3.085				WME		Water Meter

		UP3619		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3619		8/28/25 13:19		3727'45.0184"N		797'18.5466"W		1271.125		586530.511		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		2		10		12.538		1.498		9.944		Yes		8/28/25 13:19		RTK		32		1.15		0.58		0.99		9790		-1339		Yes		RTK		3D		0.6		3512		0.551		0.394		0.472		1.355				WME		Water Meter

		UP3620		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3620		8/28/25 13:20		3727'44.0236"N		797'19.1575"W		112.276		586642.787		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		96.788		100		0		10		6.791		0.335		26.494		Yes		8/28/25 13:20		RTK		32		1.15		0.58		0.99		9730		-1339		Yes		RTK		3D		1.2		3512		0.551		0.433		0.433		1.402				WME		Water Meter

		UP3621		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3621		8/28/25 13:22		3727'43.2696"N		797'20.7949"W		152.431		586795.218		0		UNKNOWN		9		32768		CLASSIC		OMNI PEAK		140		76.899		100		1		10		16.37		0.455		9.452		Yes		8/28/25 13:22		RTK		32		1.15		0.58		0.99		9607		-1339		Yes		RTK		3D		1.6		3512		0.672		0.551		0.669		1.738				WME		Water Meter

		UP3622		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3622		8/28/25 13:23		3727'44.1651"N		797'21.9581"W		130.488		586925.706		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		2.844		100		5		10		17.32		-0.342		32.285		Yes		8/28/25 13:23		RTK		32		1.14		0.58		0.99		9457		-1339		Yes		RTK		3D		1.2		3512		1.27		0.759		0.748		2.959				WME		Water Meter

		UP3623		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3623		8/28/25 13:23		3727'44.1783"N		797'21.9687"W		1.585		586927.292		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		140		100		100		-2		11		16.954		-3.412		-87.26		Yes		8/28/25 13:23		RTK		32		1.14		0.58		0.99		9455		-1339		Yes		RTK		3D		1		3512		0.433		0.343		0.394		1.104				WME		Water Meter

		UP3624		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3624		8/28/25 13:24		3727'43.3517"N		797'21.9075"W		84.002		587011.294		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		1.412		100		2		12		17.737		-1.947		15.474		Yes		8/28/25 13:24		RTK		32		1.14		0.58		0.98		9517		-1339		Yes		RTK		3D		0.6		3512		0.472		0.433		0.394		1.282				WME		Water Meter

		UP3625		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3625		8/28/25 13:25		3727'42.6023"N		797'20.8071"W		116.76		587128.054		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		45.668		100		-1		10		21.358		-5.2		-53.162		Yes		8/28/25 13:25		RTK		32		1.14		0.58		0.98		9685		-1339		Yes		RTK		3D		1.2		3512		0.366		0.307		0.394		0.956				WME		Water Meter

		UP3626		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3626		8/28/25 13:27		3727'40.8316"N		797'20.0843"W		188.83		587316.884		0		UNKNOWN		46		32768		CLASSIC		OMNI PEAK		140		62.598		100		0		11		16.129		1.765		14.003		Yes		8/28/25 13:27		RTK		32		1.13		0.57		0.98		9844		-1339		Yes		RTK		3D		1.2		3512		1.157		0.759		0.669		2.768				WME		Water Meter

		UP3627		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3627		8/28/25 13:28		3727'42.0083"N		797'19.5120"W		127.962		587444.846		0		UNKNOWN		21		32768		CLASSIC		OMNI PEAK		140		74.483		100		-3		10		19.333		0.482		60.28		Yes		8/28/25 13:29		RTK		32		1.13		0.57		0.97		9836		-1339		Yes		RTK		3D		0.8		3512		0.551		0.433		0.472		1.402				WME		Water Meter

		UP3628		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3628		8/28/25 13:29		3727'42.9963"N		797'19.0344"W		107.365		587552.211		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.288		100		0		12		12.08		2.929		-10.279		Yes		8/28/25 13:29		RTK		32		1.23		0.58		1.08		9758		-1339		Yes		RTK		3D		0.6		3512		0.512		0.374		0.394		1.268				WME		Water Meter

		UP3629		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3629		8/28/25 13:30		3727'43.6838"N		797'18.5104"W		81.521		587633.732		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		2.051		100		-13		8		22.285		-1.741		-4.447		Yes		8/28/25 13:30		RTK		32		1.23		0.58		1.08		9772		-1339		Yes		RTK		3D		1.4		3512		1.64		0.433		0.551		3.393				WME		Water Meter

		UP3630		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3630		8/28/25 13:36		3727'44.8578"N		797'16.3859"W		208.452		587842.184		0		UNKNOWN		11		32768		CLASSIC		OMNI PEAK		140		100		100		2		10		15.879		-0.576		-49.07		Yes		8/28/25 13:36		RTK		31		1.21		0.58		1.07		9948		-1339		Yes		RTK		3D		1		3512		0.472		0.394		0.433		1.23				WME		Water Meter

		UP3631		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3631		8/28/25 13:36		3727'44.2907"N		797'15.3858"W		98.98		587941.164		0		UNKNOWN		20		32768		CLASSIC		OMNI PEAK		140		76.913		100		0		8		14.509		2.253		-38.429		Yes		8/28/25 13:36		FLOAT RTK		31		1.21		0.58		1.06		10013		-1339		Yes		FLOAT RTK		3D		0.8		3512		4.785		3.865		0.827		12.303				WME		Water Meter

		UP3632		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3632		8/28/25 13:38		3727'43.6322"N		797'14.5558"W		94.496		588035.66		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		12.153		100		-2		9		14.479		3.156		72.409		Yes		8/28/25 13:38		RTK		31		1.21		0.58		1.06		10111		-1339		Yes		RTK		3D		1.2		3512		0.512		0.394		0.472		1.291				WME		Water Meter

		UP3633		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3633		8/28/25 13:38		3727'42.7392"N		797'13.2959"W		136.019		588171.678		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		32.303		100		-40		11		11.762		-3.052		-53.988		Yes		8/28/25 13:38		RTK		31		1.21		0.58		1.06		10233		-1339		Yes		RTK		3D		1		3512		1.157		0.591		0.709		2.599				WME		Water Meter

		UP3634		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3634		8/28/25 13:44		3727'31.2631"N		797'15.1967"W		1174.269		589345.947		0		UNKNOWN		9		32768		CLASSIC		OMNI PEAK		140		90.04		100		9		7		11.286		0.238		-5.718		Yes		8/28/25 13:44		RTK		31		1.19		0.58		1.04		10533		-1339		Yes		RTK		3D		0.6		3512		0.512		0.343		0.394		1.232				WME		Water Meter

		UP3635		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3635		8/28/25 13:45		3727'33.4191"N		797'16.4524"W		240.973		589586.921		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		44.768		100		1		7		12.671		-4.036		-29.97		Yes		8/28/25 13:46		RTK		32		1.3		0.62		1.14		10458		-1339		Yes		RTK		3D		1.4		3512		1.774		0.948		0.866		4.023				WME		Water Meter

		UP3636		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3636		8/28/25 13:46		3727'33.3090"N		797'16.5144"W		12.236		589599.157		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		1.101		100		0		9		12.131		-0.019		-18.234		Yes		8/28/25 13:46		RTK		32		1.3		0.62		1.14		10463		-1339		Yes		RTK		3D		0.4		3512		1.512		0.672		0.748		3.309				WME		Water Meter

		UP3637		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3637		8/28/25 13:47		3727'34.6959"N		797'18.2237"W		196.827		589795.983		0		UNKNOWN		24		32768		CLASSIC		OMNI PEAK		140		68.08		100		0		12		13.115		-3.198		-22.698		Yes		8/28/25 13:47		FLOAT RTK		32		1.29		0.62		1.13		10460		-1339		Yes		FLOAT RTK		3D		0.6		3512		6.442		3.497		0.787		14.66				WME		Water Meter

		UP3638		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3638		8/28/25 13:48		3727'34.7775"N		797'18.5165"W		24.99		589820.973		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		7.699		100		1		11		15.778		1.207		-7.608		Yes		8/28/25 13:48		RTK		32		1.29		0.62		1.13		10448		-1339		Yes		RTK		3D		0.8		3512		0.672		0.472		0.512		1.643				WME		Water Meter

		UP3639		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3639		8/28/25 13:49		3727'35.3886"N		797'20.7984"W		193.943		590014.916		0		UNKNOWN		32		32768		CLASSIC		OMNI PEAK		140		100		100		0		2		13.899		0.715		-44.03		Yes		8/28/25 13:49		RTK		30		1.29		0.63		1.13		10366		-1339		Yes		RTK		3D		1.4		3512		0.591		0.433		0.472		1.465				WME		Water Meter

		UP3640		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3640		8/28/25 13:49		3727'35.4031"N		797'20.8857"W		7.179		590022.095		0		UNKNOWN		84		32768		CLASSIC		OMNI PEAK		140		100		100		400		7		32.658		-1.124		24.16		Yes		8/28/25 13:49		RTK		30		1.29		0.63		1.12		10368		-1339		Yes		RTK		3D		1.2		3512		0.759		0.512		0.63		1.83				WME		Water Meter

		UP3641		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3641		8/28/25 13:50		3727'34.6862"N		797'20.1404"W		94.294		590116.389		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		-3		11		15.226		-0.027		-25.49		Yes		8/28/25 13:50		RTK		32		1.28		0.63		1.12		10394		-1339		Yes		RTK		3D		1		3512		1.64		0.472		0.709		3.414				WME		Water Meter

		UP3642		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3642		8/28/25 13:51		3727'34.2463"N		797'18.5144"W		138.34		590254.729		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		75.988		100		-4		9		14.397		-0.839		-5.061		Yes		8/28/25 13:51		RTK		32		1.28		0.63		1.12		10459		-1339		Yes		RTK		3D		0.6		3512		0.85		0.472		0.591		1.946				WME		Water Meter

		UP3643		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3643		8/28/25 13:53		3727'35.9308"N		797'22.9568"W		396.467		590651.196		0		UNKNOWN		24		32768		CLASSIC		OMNI PEAK		140		100		100		-5		8		9.67		-0.034		-10.14		Yes		8/28/25 13:53		RTK		32		1.27		0.62		1.11		10279		-1339		Yes		RTK		3D		1.2		3512		0.759		0.472		0.551		1.787				WME		Water Meter

		UP3644		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3644		8/28/25 13:53		3727'35.9923"N		797'23.2130"W		21.554		590672.75		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		140		100		100		3		8		15.323		-2.386		-36.737		Yes		8/28/25 13:53		RTK		31		1.27		0.62		1.1		10266		-1339		Yes		RTK		3D		1.2		3512		1.05		0.512		0.63		2.336				WME		Water Meter

		UP3645		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3645		8/28/25 13:54		3727'35.8113"N		797'24.5919"W		112.549		590785.298		0		UNKNOWN		17		32768		CLASSIC		OMNI PEAK		140		100		100		0		8		13.089		3.5		-75.83		Yes		8/28/25 13:54		RTK		32		1.18		0.6		1.02		10143		-1339		Yes		RTK		3D		1.4		3512		0.759		0.433		0.551		1.747				WME		Water Meter

		UP3646		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3646		8/28/25 13:54		3727'35.3848"N		797'23.4165"W		104.067		590889.366		0		UNKNOWN		33		32768		CLASSIC		OMNI PEAK		140		100		100		-1		6		13.456		1.051		-77.697		Yes		8/28/25 13:55		RTK		32		1.18		0.6		1.02		10277		-1339		Yes		RTK		3D		0.4		3512		0.759		0.472		0.551		1.787				WME		Water Meter

		UP3647		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3647		8/28/25 13:56		3727'35.2454"N		797'22.3292"W		88.698		590978.063		0		UNKNOWN		36		32768		CLASSIC		OMNI PEAK		140		100		100		0		7		14.709		-1.16		-38.211		Yes		8/28/25 13:56		RTK		32		1.15		0.57		1		10319		-1339		Yes		RTK		3D		0.8		3512		1.774		0.433		0.512		3.653				WME		Water Meter

		UP3648		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3648		8/28/25 13:56		3727'35.0007"N		797'21.4250"W		76.927		591054.99		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		1.29		100		12		9		13.294		0.389		74.95		Yes		8/28/25 13:56		RTK		32		1.25		0.62		1.09		10352		-1339		Yes		RTK		3D		1.2		3512		1.512		0.394		0.512		3.124				WME		Water Meter

		UP3649		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3649		8/28/25 14:00		3727'32.2355"N		797'17.4464"W		425.852		591480.842		0		UNKNOWN		31		32768		CLASSIC		OMNI PEAK		140		100		100		-1		2		12.506		-1.839		16.338		Yes		8/28/25 14:00		RTK		31		1.16		0.57		1.01		10449		-1339		Yes		RTK		3D		1.2		3512		1.27		0.591		0.748		2.802				WME		Water Meter

		UP3650		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3650		8/28/25 14:03		3727'31.2308"N		797'20.3512"W		255.169		591736.011		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		-1		8		11.609		-1.384		-53.532		Yes		8/28/25 14:03		RTK		32		1.16		0.57		1.01		10483		-1339		Yes		RTK		3D		1		3512		0.759		0.472		0.551		1.787				WME		Water Meter

		UP3651		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3651		8/28/25 14:03		3727'30.8167"N		797'24.0278"W		299.039		592035.05		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		0		13		9.43		-1.936		49.706		Yes		8/28/25 14:04		RTK		32		1.15		0.56		1		10491		-1339		Yes		RTK		3D		0.6		3512		1.64		0.672		0.787		3.545				WME		Water Meter

		UP3652		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3652		8/28/25 14:05		3727'31.6808"N		797'26.2341"W		198.125		592233.174		0		UNKNOWN		24		32768		CLASSIC		OMNI PEAK		140		87.46		100		-4		11		14.336		-2.905		-82.8		Yes		8/28/25 14:05		RTK		32		1.2		0.57		1.06		10295		-1339		Yes		RTK		3D		0.8		3512		3.034		1.64		1.339		6.898				WME		Water Meter

		UP3653		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3653		8/28/25 14:05		3727'32.1434"N		797'26.8129"W		66.147		592299.322		0		UNKNOWN		13		32768		CLASSIC		OMNI PEAK		140		100		100		27		9		14.698		0.341		-30.74		Yes		8/28/25 14:05		RTK		32		1.15		0.56		1		10230		-1339		Yes		RTK		3D		1.4		3512		0.591		0.433		0.551		1.465				WME		Water Meter

		UP3654		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3654		8/28/25 14:07		3727'31.0565"N		797'32.9867"W		509.254		592808.575		0		UNKNOWN		10		32768		CLASSIC		OMNI PEAK		140		100		100		1		13		9.928		-0.148		62.706		Yes		8/28/25 14:07		RTK		32		1.2		0.57		1.06		9694		-1339		Yes		RTK		3D		0.8		3512		0.672		0.512		0.63		1.689				WME		Water Meter

		UP3655		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3655		8/28/25 14:09		3727'35.1208"N		797'32.4604"W		414.496		593223.071		0		UNKNOWN		219		32768		CLASSIC		OMNI PEAK		140		61.867		100		-1		7		13.178		-3.283		-28.814		Yes		8/28/25 14:09		RTK		32		1.2		0.57		1.05		9520		-1339		Yes		RTK		3D		1.6		3512		0.85		0.512		0.63		1.985				WME		Water Meter

		UP3656		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3656		8/28/25 14:11		3727'30.4737"N		797'25.2865"W		745.663		593968.734		0		UNKNOWN		5		32768		CLASSIC		OMNI PEAK		140		100		100		5		10		10.858		-1.762		-82.953		Yes		8/28/25 14:11		RTK		32		1.19		0.57		1.04		10468		-1339		Yes		RTK		3D		0.8		3512		1.157		0.672		0.748		2.677				WME		Water Meter

		UP3657		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3657		8/28/25 14:12		3727'30.3788"N		797'22.7907"W		201.22		594169.954		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		76.652		100		-12		7		16.54		-3.5		-16.158		Yes		8/28/25 14:12		RTK		32		1.26		0.58		1.12		10509		-1339		Yes		RTK		3D		1.2		3512		0.512		0.354		0.433		1.245				WME		Water Meter

		UP3658		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3658		8/28/25 14:14		3727'30.4860"N		797'22.1908"W		49.521		594219.475		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		140		100		100		0		9		7.763		-1.023		-34.685		Yes		8/28/25 14:14		RTK		32		1.25		0.58		1.11		10481		-1339		Yes		RTK		3D		0.8		3512		1.388		0.759		0.787		3.164				WME		Water Meter

		UP3659		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3659		8/28/25 14:16		3727'27.3528"N		797'22.9935"W		324.369		594543.844		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		9		7		10.661		-0.361		19.373		Yes		8/28/25 14:16		RTK		31		1.19		0.56		1.06		10854		-1339		Yes		RTK		3D		1.4		3512		1.157		0.551		0.748		2.564				WME		Water Meter

		UP3660		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3660		8/28/25 14:16		3727'27.7109"N		797'24.0707"W		94.044		594637.888		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		22.485		100		1		9		32.889		-2.343		-78.43		Yes		8/28/25 14:16		RTK		32		1.24		0.57		1.1		10788		-1339		Yes		RTK		3D		1		3512		0.472		0.346		0.394		1.172				WME		Water Meter

		UP3661		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3661		8/28/25 14:17		3727'28.2508"N		797'25.7918"W		149.034		594786.922		0		UNKNOWN		1		32768		CLASSIC		OMNI PEAK		140		100		100		-1		12		12.638		-0.37		-63.29		Yes		8/28/25 14:17		RTK		32		1.2		0.57		1.06		10646		-1339		Yes		RTK		3D		1		3512		0.948		0.394		0.512		2.052				WME		Water Meter

		UP3662		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3662		8/28/25 14:18		3727'28.6253"N		797'27.1160"W		113.204		594900.125		0		UNKNOWN		43		32768		CLASSIC		OMNI PEAK		140		100		100		5		7		11.142		0.265		-23.944		Yes		8/28/25 14:18		RTK		32		1.19		0.56		1.05		10564		-1339		Yes		RTK		3D		0.8		3512		1.157		0.433		0.551		2.472				WME		Water Meter

		UP3663		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3663		8/28/25 14:19		3727'29.4616"N		797'29.7621"W		229.366		595129.491		0		UNKNOWN		1		32768		CLASSIC		OMNI PEAK		140		100		100		-1		12		8.406		1.226		22.482		Yes		8/28/25 14:19		RTK		32		1.18		0.56		1.04		10350		-1339		Yes		RTK		3D		0.6		3512		3.992		1.157		0.984		8.313				WME		Water Meter

		UP3664		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3664		8/28/25 14:21		3727'29.1310"N		797'30.7988"W		89.977		595219.468		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		87.734		100		1		10		10.661		2.138		-1.424		Yes		8/28/25 14:21		FLOAT RTK		32		1.17		0.55		1.03		10263		-1339		Yes		FLOAT RTK		3D		1.2		3512		2.577		2.025		0.512		6.554				WME		Water Meter

		UP3665		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3665		8/28/25 14:22		3727'28.5844"N		797'28.9131"W		161.672		595381.14		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		43.38		100		-3		10		9.865		-0.421		-39.844		Yes		8/28/25 14:22		RTK		32		1.19		0.58		1.04		10498		-1339		Yes		RTK		3D		1.6		3512		1.64		0.591		0.748		3.487				WME		Water Meter

		UP3666		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3666		8/28/25 14:23		3727'28.3064"N		797'28.0044"W		78.425		595459.565		0		UNKNOWN		21		32768		CLASSIC		OMNI PEAK		140		100		100		3		8		15.577		-1.827		57.65		Yes		8/28/25 14:23		RTK		32		1.18		0.6		1.02		10563		-1339		Yes		RTK		3D		0.6		3512		0.512		0.386		0.433		1.282				WME		Water Meter

		UP3667		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3667		8/28/25 14:24		3727'27.9465"N		797'26.8301"W		101.366		595560.932		0		UNKNOWN		21		32768		CLASSIC		OMNI PEAK		140		100		100		1		5		18.394		0.637		-20.54		Yes		8/28/25 14:24		RTK		32		1.18		0.6		1.02		10663		-1339		Yes		RTK		3D		1		3512		0.512		0.311		0.394		1.198				WME		Water Meter

		UP3668		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3668		8/28/25 14:25		3727'27.5195"N		797'25.3427"W		127.376		595688.308		0		UNKNOWN		65		32768		CLASSIC		OMNI PEAK		140		53.661		100		4		7		14.343		-0.72		-7.726		Yes		8/28/25 14:25		RTK		32		1.15		0.55		1.01		10718		-1339		Yes		RTK		3D		0.8		3512		1.05		0.472		0.551		2.303				WME		Water Meter

		UP3669		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3669		8/28/25 14:27		3727'27.0177"N		797'23.7364"W		139.017		595827.325		0		UNKNOWN		26		32768		CLASSIC		OMNI PEAK		140		97.156		100		8		10		10.314		-2.02		10.831		Yes		8/28/25 14:28		RTK		32		1.13		0.55		0.99		10844		-1339		Yes		RTK		3D		1.2		3512		1.512		0.672		0.748		3.309				WME		Water Meter

		UP3670		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3670		8/28/25 14:29		3727'26.6590"N		797'22.5987"W		98.579		595925.904		0		UNKNOWN		27		32768		CLASSIC		OMNI PEAK		140		100		100		0		9		15.951		-4.299		25.126		Yes		8/28/25 14:29		RTK		32		1.29		0.61		1.14		10891		-1339		Yes		RTK		3D		1.4		3512		2.207		2.058		1.102		6.035				WME		Water Meter

		UP3671		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3671		8/28/25 14:29		3727'26.7725"N		797'21.5214"W		87.521		596013.425		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		2		9		12.527		-0.844		-33.293		Yes		8/28/25 14:29		RTK		32		1.13		0.57		0.98		10888		-1339		Yes		RTK		3D		1.4		3512		1.388		0.672		0.748		3.085				WME		Water Meter

		UP3672		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3672		8/28/25 14:30		3727'27.2675"N		797'21.1788"W		57.296		596070.722		0		UNKNOWN		29		32768		CLASSIC		OMNI PEAK		140		100		100		-5		5		19.683		-5.082		-7.745		Yes		8/28/25 14:30		RTK		32		1.12		0.56		0.97		10865		-1339		Yes		RTK		3D		0.6		3512		1.157		0.512		0.591		2.531				WME		Water Meter

		UP3673		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3673		8/28/25 14:32		3727'28.5623"N		797'20.4653"W		143.374		596214.096		0		UNKNOWN		68		32768		CLASSIC		OMNI PEAK		140		100		100		-3		8		14.394		3.354		-73.082		Yes		8/28/25 14:32		RTK		32		1.02		0.5		0.88		10757		-1339		Yes		RTK		3D		1.2		3512		1.512		0.85		0.827		3.469				WME		Water Meter

		UP3674		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3674		8/28/25 14:33		3727'30.9231"N		797'17.9457"W		313.9		596527.996		0		UNKNOWN		17		32768		CLASSIC		OMNI PEAK		140		100		100		-1		7		20.596		-1.747		37.578		Yes		8/28/25 14:33		RTK		32		1.11		0.55		0.97		10536		-1339		Yes		RTK		3D		1.6		3512		0.591		0.394		0.472		1.42				WME		Water Meter

		UP3675		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3675		8/28/25 14:34		3727'30.9568"N		797'16.8697"W		86.719		596614.714		0		UNKNOWN		202		32768		CLASSIC		OMNI PEAK		140		90.347		100		-1		12		13.761		0.113		21.646		Yes		8/28/25 14:34		RTK		32		1.23		0.6		1.08		10527		-1339		Yes		RTK		3D		0.8		3512		0.672		0.394		0.472		1.558				WME		Water Meter

		UP3676		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3676		8/28/25 14:34		3727'30.6989"N		797'15.0961"W		145.205		596759.919		0		UNKNOWN		882		32768		CLASSIC		OMNI PEAK		140		61.988		100		13		8		22.289		0.251		-79.529		Yes		8/28/25 14:34		RTK		32		1.13		0.57		0.97		10558		-1339		Yes		RTK		3D		0.6		3512		0.85		0.472		0.512		1.946				WME		Water Meter

		UP3677		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3677		8/28/25 14:45		3728'10.7009"N		797'10.5211"W		0		596759.919		0		UNKNOWN		64		32768		CLASSIC		OMNI PEAK		140		65.831		100		12		10		9.961		-0.441		26.459		Yes		8/28/25 14:45		RTK		32		0.99		0.51		0.85		10742		-1339		Yes		RTK		3D		1.4		3512		0.512		0.37		0.394		1.263				WME		Water Meter

		UP3678		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3678		8/28/25 14:46		3728'9.7153"N		797'10.3033"W		101.515		596861.435		0		UNKNOWN		26		32768		CLASSIC		OMNI PEAK		140		100		100		23		9		22.003		-1		-39.201		Yes		8/28/25 14:46		RTK		32		1.01		0.51		0.87		10698		-1339		Yes		RTK		3D		0.8		3512		0.759		0.512		0.63		1.83				WME		Water Meter

		UP3679		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3679		8/28/25 14:47		3728'9.0633"N		797'10.0859"W		68.423		596929.858		0		UNKNOWN		67		32768		CLASSIC		OMNI PEAK		140		100		100		-5		11		17.343		1.099		-35.487		Yes		8/28/25 14:47		RTK		32		1.04		0.52		0.9		10654		-1339		Yes		RTK		3D		1.2		3512		0.672		0.472		0.472		1.643				WME		Water Meter

		UP3680		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3680		8/28/25 14:49		3728'7.8308"N		797'9.7474"W		127.974		597057.832		0		UNKNOWN		18		32768		CLASSIC		OMNI PEAK		140		100		100		1		10		30.46		-3.375		-83.324		Yes		8/28/25 14:49		RTK		31		1.05		0.53		0.91		10583		-1339		Yes		RTK		3D		1.6		3512		0.433		0.319		0.394		1.076				WME		Water Meter

		UP3681		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3681		8/28/25 14:56		3728'14.2916"N		797'11.3184"W		667.544		597725.376		0		UNKNOWN		8		32768		CLASSIC		OMNI PEAK		140		100		100		0		12		17.264		-0.956		60.346		Yes		8/28/25 14:56		RTK		30		1.09		0.55		0.94		10911		-1339		Yes		RTK		3D		1.2		3604		0.512		0.394		0.394		1.291				WME		Water Meter

		UP3682		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3682		8/28/25 14:56		3728'14.3116"N		797'11.3213"W		2.042		597727.418		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		34.653		100		2		7		16.684		-0.029		-61.503		Yes		8/28/25 14:56		RTK		30		1.12		0.57		0.97		10911		-1339		Yes		RTK		3D		1.4		3604		0.759		0.512		0.472		1.83				WME		Water Meter

		UP3683		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3683		8/28/25 14:57		3728'14.6206"N		797'11.3670"W		31.569		597758.987		0		UNKNOWN		283		32768		CLASSIC		OMNI PEAK		140		57.115		100		-3		12		16.921		-3.697		30.642		Yes		8/28/25 14:57		RTK		30		1.1		0.57		0.95		10913		-1339		Yes		RTK		3D		1		3604		0.948		0.512		0.433		2.154				WME		Water Meter

		UP3684		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3684		8/28/25 14:57		3728'16.1110"N		797'11.7290"W		153.986		597912.973		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		62.494		100		-15		10		13.742		1.048		7.084		Yes		8/28/25 14:58		RTK		30		1.16		0.56		1.02		10991		-1339		Yes		RTK		3D		1.2		3614		0.591		0.433		0.394		1.465				WME		Water Meter

		UP3685		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3685		8/28/25 14:59		3728'17.9264"N		797'12.3202"W		190.223		598103.196		0		UNKNOWN		53		32768		CLASSIC		OMNI PEAK		140		39.794		100		0		10		14.478		-0.965		-18.778		Yes		8/28/25 14:59		RTK		31		1.15		0.56		1.01		11014		-1339		Yes		RTK		3D		1.6		3614		1.05		0.759		0.669		2.59				WME		Water Meter

		UP3686		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3686		8/28/25 15:02		3728'19.9433"N		797'12.5470"W		205.427		598308.623		0		UNKNOWN		5		32768		CLASSIC		OMNI PEAK		140		100		100		-7		10		12.008		-0.687		-38.059		Yes		8/28/25 15:02		RTK		32		1.07		0.54		0.93		11054		-1339		Yes		RTK		3D		0.6		3614		0.591		0.472		0.394		1.513				WME		Water Meter

		UP3687		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3687		8/28/25 15:05		3728'22.0972"N		797'12.1701"W		220.607		598529.23		0		UNKNOWN		16		32768		CLASSIC		OMNI PEAK		140		100		100		1		10		12.446		-0.921		25.937		Yes		8/28/25 15:05		RTK		32		1.11		0.57		0.95		10926		-1339		Yes		RTK		3D		1.2		3614		1.05		0.472		0.551		2.303				WME		Water Meter

		UP3688		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3688		8/28/25 15:10		3728'26.1596"N		797'9.1133"W		480.028		599009.257		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		1		10		26.73		-0.417		-12.704		Yes		8/28/25 15:10		RTK		32		1.05		0.54		0.9		10821		-1339		Yes		RTK		3D		1.6		3614		1.157		0.759		0.591		2.768				WME		Water Meter

		UP3689		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3689		8/28/25 15:12		3728'34.6358"N		797'3.5278"W		970.409		599979.666		0		UNKNOWN		8		32768		CLASSIC		OMNI PEAK		140		100		100		-5		11		29.621		-4.093		-6.847		Yes		8/28/25 15:12		RTK		32		0.99		0.52		0.84		11170		-1339		Yes		RTK		3D		0.8		3614		1.05		0.512		0.512		2.336				WME		Water Meter

		UP3690		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3690		8/28/25 15:12		3728'34.6499"N		797'3.5142"W		1.796		599981.463		0		UNKNOWN		36		32768		CLASSIC		OMNI PEAK		140		58.194		100		26		8		22.881		-1.068		-10.075		Yes		8/28/25 15:12		RTK		32		0.99		0.52		0.84		11174		-1339		Yes		RTK		3D		1.4		3614		0.591		0.382		0.394		1.407				WME		Water Meter

		UP3691		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3691		8/28/25 15:12		3728'35.3532"N		797'3.1742"W		76.424		600057.886		0		UNKNOWN		15		32768		CLASSIC		OMNI PEAK		140		100		100		19		9		18.33		-0.68		-65.131		Yes		8/28/25 15:12		RTK		32		1.05		0.54		0.89		11158		-1339		Yes		RTK		3D		0.6		3614		1.157		0.672		0.63		2.677				WME		Water Meter

		UP3692		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3692		8/28/25 15:15		3728'40.7952"N		797'0.1920"W		602.046		600659.933		0		UNKNOWN		60		32768		CLASSIC		OMNI PEAK		140		93.295		100		5		8		15.165		-2.853		-63.066		Yes		8/28/25 15:15		RTK		32		1.04		0.54		0.89		11110		-1339		Yes		RTK		3D		1.4		3614		1.64		0.512		0.591		3.437				WME		Water Meter

		UP3693		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3693		8/28/25 15:15		3728'41.0189"N		796'58.1862"W		163.074		600823.006		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		31.749		100		12		7		13.512		4.966		-43.957		Yes		8/28/25 15:15		RTK		32		1.04		0.55		0.89		11169		-1339		Yes		RTK		3D		1.4		3614		1.05		0.472		0.472		2.303				WME		Water Meter

		UP3694		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3694		8/28/25 15:16		3728'41.0647"N		796'56.9186"W		102.163		600925.169		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		9.734		100		4		10		13.639		9.193		39.995		Yes		8/28/25 15:16		RTK		31		1.04		0.55		0.89		11153		-1339		Yes		RTK		3D		1.6		3614		0.551		0.472		0.394		1.452				WME		Water Meter

		UP3695		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3695		8/28/25 15:17		3728'40.9300"N		796'55.4049"W		122.633		601047.802		0		UNKNOWN		36		32768		CLASSIC		OMNI PEAK		140		68.565		100		1		12		13.723		1.256		6.396		Yes		8/28/25 15:17		RTK		32		1.03		0.55		0.87		11115		-1339		Yes		RTK		3D		1.4		3614		0.759		0.472		0.472		1.787				WME		Water Meter

		UP3696		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3696		8/28/25 15:18		3728'40.5006"N		796'53.3822"W		168.57		601216.373		0		UNKNOWN		1		32768		CLASSIC		OMNI PEAK		140		100		100		-1		13		14.075		0.654		-55.712		Yes		8/28/25 15:18		RTK		32		1.04		0.55		0.88		10978		-1339		Yes		RTK		3D		1		3614		0.672		0.512		0.472		1.689				WME		Water Meter

		UP3697		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3697		8/28/25 15:18		3728'40.2960"N		796'52.5176"W		72.641		601289.014		0		UNKNOWN		40		32768		CLASSIC		OMNI PEAK		140		100		97		-7		10		9.502		1.206		37.622		Yes		8/28/25 15:18		RTK		32		1.05		0.58		0.88		10926		-1339		Yes		RTK		3D		1.4		3614		0.672		0.512		0.433		1.689				WME		Water Meter

		UP3698		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3698		8/28/25 15:19		3728'40.0037"N		796'51.3420"W		99.177		601388.191		0		UNKNOWN		19		32768		CLASSIC		OMNI PEAK		140		100		100		0		13		11.908		-2.312		-77.001		Yes		8/28/25 15:19		RTK		32		1.02		0.54		0.87		10859		-1339		Yes		RTK		3D		1.4		3614		0.37		0.268		0.394		0.914				WME		Water Meter

		UP3699		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3699		8/28/25 15:19		3728'39.7864"N		796'50.2050"W		94.163		601482.354		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		30.48		100		8		11		11.142		3.095		-83.609		Yes		8/28/25 15:19		RTK		32		1.09		0.57		0.93		10800		-1339		Yes		RTK		3D		1		3614		0.85		0.591		0.512		2.071				WME		Water Meter

		UP3700		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3700		8/28/25 15:20		3728'39.4327"N		796'48.9878"W		104.36		601586.714		0		UNKNOWN		17		32768		CLASSIC		OMNI PEAK		140		100		100		3		11		11.065		-0.456		-0.368		Yes		8/28/25 15:20		RTK		32		1		0.54		0.85		10740		-1339		Yes		RTK		3D		1.2		3614		0.759		0.591		0.512		1.923				WME		Water Meter

		UP3701		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3701		8/28/25 15:21		3728'39.2338"N		796'48.4867"W		45.106		601631.82		0		UNKNOWN		10		32768		CLASSIC		OMNI PEAK		140		100		99		2		9		12.25		2.148		-55.037		Yes		8/28/25 15:21		RTK		32		0.98		0.52		0.84		10717		-1339		Yes		RTK		3D		1.2		3614		0.672		0.472		0.394		1.643				WME		Water Meter

		UP3702		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3702		8/28/25 15:21		3728'38.9584"N		796'47.2643"W		102.305		601734.125		0		UNKNOWN		94		32768		CLASSIC		OMNI PEAK		140		69.928		99		0		10		13.215		-4.208		34.549		Yes		8/28/25 15:21		RTK		32		1.03		0.55		0.86		10703		-1339		Yes		RTK		3D		1.2		3614		0.551		0.335		0.394		1.29				WME		Water Meter

		UP3703		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3703		8/28/25 15:22		3728'38.0587"N		796'45.6856"W		156.484		601890.61		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		57.988		100		3		11		11.203		1.931		-34.324		Yes		8/28/25 15:22		RTK		32		1.02		0.54		0.87		10703		-1339		Yes		RTK		3D		1		3614		1.05		0.551		0.591		2.372				WME		Water Meter

		UP3704		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3704		8/28/25 15:23		3728'37.2318"N		796'44.3207"W		138.244		602028.854		0		UNKNOWN		32		32768		CLASSIC		OMNI PEAK		140		100		98		8		11		10.482		0.512		87.367		Yes		8/28/25 15:23		RTK		32		0.98		0.52		0.83		10700		-1339		Yes		RTK		3D		1.2		3614		0.85		0.512		0.551		1.985				WME		Water Meter

		UP3705		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3705		8/28/25 15:23		3728'36.2025"N		796'43.2091"W		137.529		602166.383		0		UNKNOWN		369		32768		CLASSIC		OMNI PEAK		140		89.339		100		-21		12		14.132		-2.942		-57.816		Yes		8/28/25 15:23		RTK		32		1.01		0.54		0.85		10677		-1339		Yes		RTK		3D		1		3614		0.759		0.472		0.472		1.787				WME		Water Meter

		UP3706		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3706		8/28/25 15:24		3728'35.5745"N		796'42.1100"W		109.039		602275.422		0		UNKNOWN		98		32768		CLASSIC		OMNI PEAK		140		57.698		99		9		6		12.33		-2.059		-24.822		Yes		8/28/25 15:24		RTK		32		0.99		0.53		0.84		10675		-1339		Yes		RTK		3D		0.6		3614		1.157		0.512		0.591		2.531				WME		Water Meter

		UP3707		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3707		8/28/25 15:24		3728'35.1852"N		796'41.6710"W		53.006		602328.428		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		140		100		98		3		5		12.107		-1.166		-46.04		Yes		8/28/25 15:24		RTK		32		0.98		0.51		0.83		10673		-1339		Yes		RTK		3D		0.8		3614		1.388		0.85		0.669		3.256				WME		Water Meter

		UP3708		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3708		8/28/25 15:25		3728'34.3353"N		796'40.9624"W		103.378		602431.807		0		UNKNOWN		302		32768		CLASSIC		OMNI PEAK		140		34.754		99		0		13		10.83		2.947		1.662		Yes		8/28/25 15:25		RTK		32		0.97		0.51		0.83		10680		-1339		Yes		RTK		3D		0.8		3614		0.85		0.512		0.472		1.985				WME		Water Meter

		UP3709		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3709		8/29/25 7:50		3728'26.1794"N		796'46.4692"W		938.726		603370.533		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		3.409		100		-23		12		14.545		-1.717		33.713		Yes		8/29/25 7:50		RTK		27		1.15		0.58		1		10196		-1339		Yes		RTK		3D		2		441		0.759		0.394		0.394		1.709				WME		Water Meter

		UP3710		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3710		8/29/25 7:51		3728'25.7927"N		796'45.8658"W		62.441		603432.974		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		7.229		100		-5		11		15.386		0.837		-26.905		Yes		8/29/25 7:51		RTK		31		1.17		0.55		1.04		10172		-1339		Yes		RTK		3D		1		441		0.551		0.472		0.551		1.452				WME		Water Meter

		UP3711		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3711		8/29/25 7:53		3728'27.0892"N		796'44.6551"W		163.709		603596.683		0		UNKNOWN		61		32768		CLASSIC		OMNI PEAK		140		7.238		100		3		7		18.064		2.274		8.265		Yes		8/29/25 7:53		RTK		32		1.05		0.51		0.92		10306		-1339		Yes		RTK		3D		1		441		0.85		0.512		0.551		1.985				WME		Water Meter

		UP3712		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3712		8/29/25 7:54		3728'30.0464"N		796'42.4516"W		348.543		603945.226		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.374		100		-21		6		20.346		-3.856		83.167		Yes		8/29/25 7:54		RTK		32		1.01		0.49		0.89		10483		-1339		Yes		RTK		3D		1.4		441		0.472		0.382		0.394		1.215				WME		Water Meter

		UP3713		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3713		8/29/25 7:55		3728'30.1793"N		796'41.5386"W		74.732		604019.958		0		UNKNOWN		24		32768		CLASSIC		OMNI PEAK		140		15.584		100		8		10		13.152		1.104		50.096		Yes		8/29/25 7:55		RTK		32		1.01		0.49		0.88		10457		-1339		Yes		RTK		3D		1.4		441		0.433		0.39		0.394		1.165				WME		Water Meter

		UP3714		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3714		8/29/25 7:56		3728'32.8220"N		796'38.9421"W		339.976		604359.934		0		UNKNOWN		13		32768		CLASSIC		OMNI PEAK		140		12.871		100		2		10		16.884		-2.161		9.985		Yes		8/29/25 7:56		RTK		32		1.01		0.49		0.88		10598		-1339		Yes		RTK		3D		0.6		441		0.948		0.551		0.551		2.192				WME		Water Meter

		UP3715		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3715		8/29/25 7:57		3728'32.0278"N		796'36.9903"W		176.598		604536.531		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.273		100		7		6		15.829		-2.038		55.295		Yes		8/29/25 7:57		RTK		32		1.17		0.55		1.03		10538		-1339		Yes		RTK		3D		1.4		441		1.774		0.591		0.709		3.74				WME		Water Meter

		UP3716		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3716		8/29/25 7:58		3728'31.8020"N		796'35.8805"W		92.243		604628.775		0		UNKNOWN		901		32768		CLASSIC		OMNI PEAK		140		5.348		100		-18		10		15.12		-2.943		12.749		Yes		8/29/25 7:58		FLOAT RTK		32		0.96		0.48		0.83		10534		-1339		Yes		FLOAT RTK		3D		1		441		3.313		2.577		0.433		8.394				WME		Water Meter

		UP3717		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3717		8/29/25 7:59		3728'31.5453"N		796'34.0822"W		147.111		604775.886		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		4.113		100		-7		8		15.235		-0.08		-39.91		Yes		8/29/25 7:59		RTK		32		0.95		0.48		0.82		10528		-1339		Yes		RTK		3D		1.2		441		0.512		0.335		0.394		1.223				WME		Water Meter

		UP3718		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3718		8/29/25 8:00		3728'31.3661"N		796'31.3831"W		218.066		604993.952		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		2.116		100		-1		9		13.033		3.09		58.817		Yes		8/29/25 8:00		RTK		32		0.95		0.48		0.82		10458		-1339		Yes		RTK		3D		0.6		441		1.64		0.85		0.63		3.695				WME		Water Meter

		UP3719		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3719		8/29/25 8:01		3728'31.1775"N		796'30.3119"W		88.347		605082.299		0		UNKNOWN		16		32768		CLASSIC		OMNI PEAK		140		10.658		100		-3		12		14.02		1.059		-9.078		Yes		8/29/25 8:01		RTK		32		0.98		0.5		0.84		10414		-1339		Yes		RTK		3D		1.6		441		0.591		0.433		0.394		1.465				WME		Water Meter

		UP3720		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3720		8/29/25 8:02		3728'30.9585"N		796'29.5306"W		66.708		605149.007		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		2.702		100		-6		10		13.149		-0.337		25.665		Yes		8/29/25 8:02		RTK		32		1.03		0.52		0.89		10375		-1339		Yes		RTK		3D		0.4		441		1.27		0.672		0.63		2.874				WME		Water Meter

		UP3721		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3721		8/29/25 8:03		3728'30.7107"N		796'28.5148"W		85.561		605234.568		0		UNKNOWN		32		32768		CLASSIC		OMNI PEAK		140		10.023		100		-4		12		11.077		0.012		60.22		Yes		8/29/25 8:03		RTK		32		1.03		0.52		0.88		10335		-1339		Yes		RTK		3D		1.6		441		1.64		0.759		0.827		3.615				WME		Water Meter

		UP3722		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3722		8/29/25 8:04		3728'30.3677"N		796'27.3762"W		98.058		605332.626		0		UNKNOWN		41		32768		CLASSIC		OMNI PEAK		140		22.408		100		-1		11		17.571		-1.855		-87.428		Yes		8/29/25 8:04		RTK		32		1.02		0.51		0.88		10299		-1339		Yes		RTK		3D		0.6		441		0.672		0.358		0.394		1.523				WME		Water Meter

		UP3723		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3723		8/29/25 8:04		3728'30.1231"N		796'26.4506"W		78.541		605411.167		0		UNKNOWN		23		32768		CLASSIC		OMNI PEAK		140		100		100		-1		6		13.798		-0.858		-74.657		Yes		8/29/25 8:05		RTK		32		1.01		0.51		0.88		10281		-1339		Yes		RTK		3D		1		441		0.591		0.472		0.472		1.513				WME		Water Meter

		UP3724		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3724		8/29/25 8:12		3728'27.7629"N		796'27.5614"W		255.6		605666.767		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		9.685		100		-4		8		15.229		-7.643		22.222		Yes		8/29/25 8:12		RTK		31		1.07		0.54		0.93		10146		-1339		Yes		RTK		3D		1.2		441		0.512		0.472		0.472		1.393				WME		Water Meter

		UP3725		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3725		8/29/25 8:12		3728'27.4982"N		796'27.6964"W		28.976		605695.744		0		UNKNOWN		58		32768		CLASSIC		OMNI PEAK		140		40.456		100		12		7		14.708		2.28		-8.589		Yes		8/29/25 8:12		RTK		32		1.07		0.54		0.93		10122		-1339		Yes		RTK		3D		0.8		441		0.672		0.512		0.551		1.689				WME		Water Meter

		UP3726		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3726		8/29/25 8:13		3728'26.6195"N		796'28.5073"W		110.494		605806.237		0		UNKNOWN		20		32768		CLASSIC		OMNI PEAK		140		12.479		100		-1		9		14.408		-2.195		40.597		Yes		8/29/25 8:13		RTK		32		1.02		0.53		0.87		10076		-1339		Yes		RTK		3D		0.4		441		0.672		0.433		0.472		1.599				WME		Water Meter

		UP3727		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3727		8/29/25 8:16		3728'29.1713"N		796'25.4862"W		355.222		606161.459		0		UNKNOWN		443		32768		CLASSIC		OMNI PEAK		140		11.456		100		0		13		14.043		-0.708		-48.456		Yes		8/29/25 8:16		RTK		32		0.98		0.52		0.84		10240		-1339		Yes		RTK		3D		1		441		0.948		0.551		0.551		2.192				WME		Water Meter

		UP3728		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3728		8/29/25 8:18		3728'27.6862"N		796'23.5898"W		214.508		606375.967		0		UNKNOWN		28		32768		CLASSIC		OMNI PEAK		140		93.662		100		-18		5		14.679		-0.999		56.99		Yes		8/29/25 8:18		RTK		32		1		0.52		0.86		10384		-1339		Yes		RTK		3D		1.4		441		0.948		0.551		0.63		2.192				WME		Water Meter

		UP3729		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3729		8/29/25 8:19		3728'27.0810"N		796'23.8110"W		63.932		606439.899		0		UNKNOWN		80		32768		CLASSIC		OMNI PEAK		140		35.818		100		5		2		9.354		0.537		-8.29		Yes		8/29/25 8:19		RTK		32		0.95		0.51		0.8		10396		-1339		Yes		RTK		3D		1.4		441		1.64		1.157		0.866		4.015				WME		Water Meter

		UP3730		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3730		8/29/25 8:19		3728'27.0665"N		796'23.8201"W		1.637		606441.536		0		UNKNOWN		156		32768		CLASSIC		OMNI PEAK		140		26.473		100		17		5		13.614		0.216		-68.85		Yes		8/29/25 8:19		RTK		32		1		0.52		0.85		10395		-1339		Yes		RTK		3D		1.6		441		0.85		0.759		0.669		2.279				WME		Water Meter

		UP3731		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3731		8/29/25 8:20		3728'26.4490"N		796'24.0353"W		65.004		606506.54		0		UNKNOWN		2261		32768		CLASSIC		OMNI PEAK		140		3.223		100		-1		10		15.938		-0.197		43.79		Yes		8/29/25 8:20		RTK		32		0.95		0.52		0.8		10394		-1339		Yes		RTK		3D		0.8		441		0.85		0.591		0.591		2.071				WME		Water Meter

		UP3732		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3732		8/29/25 8:20		3728'26.4345"N		796'24.0407"W		1.53		606508.07		0		UNKNOWN		11		32768		CLASSIC		OMNI PEAK		140		10.213		100		4		10		15.55		-2.269		66.635		Yes		8/29/25 8:20		RTK		32		0.95		0.52		0.8		10394		-1339		Yes		RTK		3D		0.8		441		0.759		0.591		0.591		1.923				WME		Water Meter

		UP3733		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3733		8/29/25 8:20		3728'26.4195"N		796'24.0483"W		1.639		606509.709		0		UNKNOWN		83		32768		CLASSIC		OMNI PEAK		140		4.663		100		4		7		13.62		-2.343		51.725		Yes		8/29/25 8:20		RTK		32		0.95		0.52		0.8		10391		-1339		Yes		RTK		3D		1		441		0.551		0.433		0.433		1.402				WME		Water Meter

		UP3734		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3734		8/29/25 8:21		3728'25.5941"N		796'24.3670"W		87.581		606597.289		0		UNKNOWN		8		32768		CLASSIC		OMNI PEAK		140		22.383		100		5		5		13.232		1.092		-34.557		Yes		8/29/25 8:21		RTK		32		0.98		0.53		0.82		10343		-1339		Yes		RTK		3D		0.8		441		0.472		0.382		0.394		1.215				WME		Water Meter

		UP3735		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3735		8/29/25 8:21		3728'24.5622"N		796'25.1053"W		120.389		606717.678		0		UNKNOWN		22		32768		CLASSIC		OMNI PEAK		140		17.379		100		1		8		14.703		-0.903		8.306		Yes		8/29/25 8:21		RTK		32		1.07		0.58		0.91		10270		-1339		Yes		RTK		3D		0.6		441		0.472		0.433		0.394		1.282				WME		Water Meter

		UP3736		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3736		8/29/25 8:24		3728'22.7001"N		796'27.9244"W		295.31		607012.989		0		UNKNOWN		57		32768		CLASSIC		OMNI PEAK		140		5.515		100		49		9		13.688		-3.247		-0.85		Yes		8/29/25 8:24		FLOAT RTK		32		1.02		0.55		0.86		10127		-1339		Yes		FLOAT RTK		3D		1.4		441		17.853		16.381		3.031		48.459				WME		Water Meter

		UP3737		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3737		8/29/25 8:25		3728'23.5913"N		796'29.1370"W		133.064		607146.053		0		UNKNOWN		35		32768		CLASSIC		OMNI PEAK		140		16.805		100		7		9		12.787		-0.853		22.12		Yes		8/29/25 8:25		FLOAT RTK		32		1.05		0.55		0.89		10014		-1339		Yes		FLOAT RTK		3D		1.6		441		16.381		16.013		3.386		45.815				WME		Water Meter

		UP3738		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3738		8/29/25 8:26		3728'25.1019"N		796'29.5305"W		156.489		607302.542		0		UNKNOWN		23		32768		CLASSIC		OMNI PEAK		140		64.795		100		-4		3		16.105		-0.137		30.388		Yes		8/29/25 8:26		RTK		31		1.05		0.55		0.89		9991		-1339		Yes		RTK		3D		1.4		441		1.388		0.759		0.748		3.164				WME		Water Meter

		UP3739		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3739		8/29/25 8:28		3728'25.0186"N		796'31.7399"W		178.085		607480.627		0		UNKNOWN		10		32768		CLASSIC		OMNI PEAK		140		10.776		100		-5		10		11.839		3.163		-4.142		Yes		8/29/25 8:28		RTK		31		1.05		0.56		0.88		10086		-1339		Yes		RTK		3D		1.2		441		0.85		0.512		0.591		1.985				WME		Water Meter

		UP3740		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3740		8/29/25 8:30		3728'26.9735"N		796'32.8539"W		217.67		607698.296		0		UNKNOWN		15		32768		CLASSIC		OMNI PEAK		140		100		100		0		10		16.455		-1.051		-7.359		Yes		8/29/25 8:30		RTK		32		1.03		0.54		0.87		10292		-1339		Yes		RTK		3D		1.2		441		0.433		0.366		0.394		1.134				WME		Water Meter

		UP3741		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3741		8/29/25 8:30		3728'25.6154"N		796'33.4286"W		145.345		607843.642		0		UNKNOWN		5		32768		CLASSIC		OMNI PEAK		140		100		100		-1		13		14.601		2.23		-3.428		Yes		8/29/25 8:31		RTK		32		1.02		0.54		0.87		10224		-1339		Yes		RTK		3D		1.6		441		1.27		0.85		0.709		3.057				WME		Water Meter

		UP3742		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3742		8/29/25 8:31		3728'24.3875"N		796'33.9537"W		131.549		607975.191		0		UNKNOWN		58		32768		CLASSIC		OMNI PEAK		140		52.917		100		-138		9		13.162		-1.677		-3.301		Yes		8/29/25 8:31		RTK		32		1.11		0.59		0.95		10191		-1339		Yes		RTK		3D		2.4		441		0.591		0.472		0.512		1.513				WME		Water Meter

		UP3743		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3743		8/29/25 8:34		3728'22.7886"N		796'29.1584"W		418.782		608393.973		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		8.927		100		18		8		15.651		-0.185		13.966		Yes		8/29/25 8:34		RTK		32		1.03		0.56		0.86		10079		-1339		Yes		RTK		3D		1		441		0.512		0.394		0.394		1.291				WME		Water Meter

		UP3744		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3744		8/29/25 8:35		3728'22.0830"N		796'28.0364"W		115.264		608509.237		0		UNKNOWN		157		32768		CLASSIC		OMNI PEAK		140		63.32		100		-4		9		17.699		-0.313		-73.472		Yes		8/29/25 8:35		RTK		32		1.01		0.55		0.85		10115		-1339		Yes		RTK		3D		0.4		441		0.948		0.512		0.551		2.154				WME		Water Meter

		UP3745		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3745		8/29/25 8:35		3728'21.5209"N		796'27.2967"W		82.458		608591.695		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		13.457		100		-21		6		12.681		0.05		-76.147		Yes		8/29/25 8:35		RTK		32		1.1		0.57		0.94		10076		-1339		Yes		RTK		3D		1.6		441		0.948		0.512		0.551		2.154				WME		Water Meter

		UP3746		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3746		8/29/25 8:36		3728'20.7405"N		796'26.1606"W		120.974		608712.67		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		0		12		16.532		-5.796		-67.935		Yes		8/29/25 8:36		RTK		32		1.13		0.59		0.96		10170		-1339		Yes		RTK		3D		1.4		441		0.551		0.433		0.394		1.402				WME		Water Meter

		UP3747		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3747		8/29/25 8:37		3728'20.0897"N		796'25.2390"W		99.324		608811.993		0		UNKNOWN		122		32768		CLASSIC		OMNI PEAK		140		28.232		100		5		8		13.13		-0.012		-16.749		Yes		8/29/25 8:37		RTK		32		1.09		0.57		0.93		10167		-1339		Yes		RTK		3D		0.8		441		2.688		1.05		0.827		5.771				WME		Water Meter

		UP3748		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3748		8/29/25 8:37		3728'19.7325"N		796'24.7011"W		56.469		608868.462		0		UNKNOWN		33		32768		CLASSIC		OMNI PEAK		140		86.785		100		0		11		12.178		-2.172		-13.196		Yes		8/29/25 8:37		RTK		32		1.1		0.57		0.94		10170		-1339		Yes		RTK		3D		1.4		441		0.759		0.433		0.512		1.747				WME		Water Meter

		UP3749		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3749		8/29/25 8:38		3728'19.0232"N		796'23.7871"W		102.932		608971.394		0		UNKNOWN		176		32768		CLASSIC		OMNI PEAK		140		49.651		100		5		11		13.718		0.143		-19.61		Yes		8/29/25 8:38		FLOAT RTK		32		1.09		0.57		0.93		10196		-1339		Yes		FLOAT RTK		3D		1.2		441		11.227		7.362		1.85		26.852				WME		Water Meter

		UP3750		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3750		8/29/25 8:38		3728'19.1742"N		796'23.9830"W		21.992		608993.386		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		8.632		100		0		13		15.641		2.074		-25.137		Yes		8/29/25 8:38		RTK		32		1.15		0.59		0.99		10191		-1339		Yes		RTK		3D		0.8		441		1.64		0.948		0.827		3.789				WME		Water Meter

		UP3751		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3751		8/29/25 8:40		3728'20.1104"N		796'24.2440"W		97.273		609090.659		0		UNKNOWN		35		32768		CLASSIC		OMNI PEAK		140		100		100		7		3		10.255		-0.582		71.342		Yes		8/29/25 8:40		RTK		32		1.2		0.61		1.03		10194		-1339		Yes		RTK		3D		1		441		1.05		0.433		0.63		2.271				WME		Water Meter

		UP3752		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3752		8/29/25 8:41		3728'20.9951"N		796'25.4117"W		129.982		609220.641		0		UNKNOWN		57		32768		CLASSIC		OMNI PEAK		140		56.623		100		0		8		18.882		-3.748		9.294		Yes		8/29/25 8:41		FLOAT RTK		32		1.12		0.58		0.95		10187		-1339		Yes		FLOAT RTK		3D		0.8		441		4.601		2.393		0.709		10.373				WME		Water Meter

		UP3753		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3753		8/29/25 8:41		3728'21.5817"N		796'26.3052"W		93.365		609314.006		0		UNKNOWN		17		32768		CLASSIC		OMNI PEAK		140		100		100		1		11		11.184		-1.346		5.418		Yes		8/29/25 8:41		RTK		32		1.1		0.58		0.94		10146		-1339		Yes		RTK		3D		1.8		441		2.207		1.05		0.866		4.889				WME		Water Meter

		UP3754		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3754		8/29/25 8:45		3728'23.9551"N		796'24.7165"W		272.653		609586.659		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		-3		8		12.885		-3.222		-16.539		Yes		8/29/25 8:45		RTK		32		1.1		0.58		0.93		10257		-1339		Yes		RTK		3D		1.4		441		1.05		0.759		0.551		2.59				WME		Water Meter

		UP3755		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3755		8/29/25 8:45		3728'24.6695"N		796'24.0829"W		88.627		609675.286		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		63.73		100		-1		10		15.166		-1.345		-7.758		Yes		8/29/25 8:45		RTK		32		1.1		0.58		0.94		10303		-1339		Yes		RTK		3D		1		441		2.207		1.388		0.906		5.215				WME		Water Meter

		UP3756		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3756		8/29/25 8:46		3728'25.3819"N		796'23.7706"W		76.523		609751.81		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		100		100		-13		11		19.863		-0.629		-67.005		Yes		8/29/25 8:46		RTK		32		1.09		0.58		0.93		10362		-1339		Yes		RTK		3D		1.2		441		0.948		0.591		0.591		2.233				WME		Water Meter

		UP3757		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3757		8/29/25 8:48		3728'27.3219"N		796'23.0605"W		204.953		609956.763		0		UNKNOWN		18		32768		CLASSIC		OMNI PEAK		140		63.722		100		-4		10		18.064		-2.075		33.332		Yes		8/29/25 8:48		RTK		32		1.2		0.61		1.03		10424		-1339		Yes		RTK		3D		1.2		441		0.948		0.512		0.63		2.154				WME		Water Meter

		UP3758		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3758		8/29/25 8:51		3728'30.0409"N		796'23.0290"W		275.852		610232.615		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		-7		8		15.281		-1.544		66.861		Yes		8/29/25 8:51		RTK		32		1.13		0.61		0.95		10213		-1339		Yes		RTK		3D		0.8		441		1.774		0.948		0.827		4.023				WME		Water Meter

		UP3759		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3759		8/29/25 8:52		3728'30.2063"N		796'24.3578"W		108.293		610340.908		0		UNKNOWN		10		32768		CLASSIC		OMNI PEAK		140		100		100		1		9		16.127		-0.379		17.556		Yes		8/29/25 8:52		FLOAT RTK		32		1.08		0.58		0.91		10235		-1339		Yes		FLOAT RTK		3D		1.2		441		2.761		2.025		0.472		6.847				WME		Water Meter

		UP3760		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3760		8/29/25 8:53		3728'30.9157"N		796'26.9395"W		219.967		610560.875		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		140		100		100		6		8		16.624		-2.753		-3.784		Yes		8/29/25 8:53		RTK		30		1.12		0.59		0.95		10317		-1339		Yes		RTK		3D		0.6		441		0.85		0.672		0.63		2.168				WME		Water Meter

		UP3761		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3761		8/29/25 8:54		3728'31.2644"N		796'28.0873"W		98.948		610659.824		0		UNKNOWN		41		32768		CLASSIC		OMNI PEAK		140		89.022		100		-6		7		17.537		3.496		-11.363		Yes		8/29/25 8:54		RTK		32		1.12		0.59		0.95		10355		-1339		Yes		RTK		3D		1.6		441		0.948		0.672		0.669		2.323				WME		Water Meter

		UP3762		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3762		8/29/25 8:55		3728'31.6789"N		796'29.4892"W		120.454		610780.278		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		140		100		100		0		13		14.071		-0.785		-16.065		Yes		8/29/25 8:55		RTK		31		1.05		0.56		0.89		10417		-1339		Yes		RTK		3D		1		441		1.27		0.85		0.669		3.057				WME		Water Meter

		UP3763		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3763		8/29/25 8:59		3728'34.1345"N		796'28.0787"W		273.784		611054.062		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		44.178		100		2		8		12.451		-2.452		57.825		Yes		8/29/25 8:59		RTK		31		1.34		0.67		1.16		10486		-1339		Yes		RTK		3D		1.6		441		0.551		0.472		0.472		1.452				WME		Water Meter

		UP3764		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3764		8/29/25 9:00		3728'35.0096"N		796'27.1970"W		113.673		611167.735		0		UNKNOWN		23		32768		CLASSIC		OMNI PEAK		140		77.978		100		18		10		14.181		-1.643		-62.116		Yes		8/29/25 9:00		FLOAT RTK		30		1.17		0.64		0.98		10476		-1339		Yes		FLOAT RTK		3D		0.6		441		13.436		11.043		2.717		34.784				WME		Water Meter

		UP3765		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3765		8/29/25 9:00		3728'35.8565"N		796'26.3652"W		108.928		611276.663		0		UNKNOWN		10		32768		CLASSIC		OMNI PEAK		140		100		100		3		6		16.581		0.19		56.454		Yes		8/29/25 9:00		FLOAT RTK		32		1.17		0.64		0.98		10513		-1339		Yes		FLOAT RTK		3D		0.6		441		3.497		2.025		0.512		8.082				WME		Water Meter

		UP3766		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3766		8/29/25 9:03		3728'36.7541"N		796'25.5042"W		114.451		611391.114		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		4		9		16.095		-2.819		-9.002		Yes		8/29/25 9:03		RTK		32		1.1		0.6		0.92		10511		-1339		Yes		RTK		3D		1.4		441		1.388		0.948		0.709		3.362				WME		Water Meter

		UP3767		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3767		8/29/25 9:03		3728'37.7179"N		796'24.5372"W		124.985		611516.099		0		UNKNOWN		7		32768		CLASSIC		OMNI PEAK		140		100		100		32		12		11.743		-2.512		73.66		Yes		8/29/25 9:03		RTK		32		1.21		0.62		1.04		10471		-1339		Yes		RTK		3D		1		441		0.948		0.759		0.63		2.427				WME		Water Meter

		UP3768		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3768		8/29/25 9:05		3728'38.4442"N		796'23.7824"W		95.508		611611.607		0		UNKNOWN		11		32768		CLASSIC		OMNI PEAK		140		100		100		1		7		14.305		-3.873		-8.87		Yes		8/29/25 9:05		RTK		32		1.09		0.62		0.9		10392		-1339		Yes		RTK		3D		1.2		441		0.759		0.591		0.512		1.923				WME		Water Meter

		UP3769		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3769		8/29/25 9:06		3728'39.2555"N		796'23.0056"W		103.372		611714.979		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		4.958		100		-4		12		16.824		-4.419		-32.951		Yes		8/29/25 9:06		RTK		32		1.2		0.62		1.03		10280		-1339		Yes		RTK		3D		0.6		441		1.27		0.948		0.669		3.17				WME		Water Meter

		UP3770		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3770		8/29/25 9:06		3728'39.2119"N		796'23.9433"W		75.626		611790.605		0		UNKNOWN		23		32768		CLASSIC		OMNI PEAK		140		92.792		100		0		9		16.38		-2.376		4.481		Yes		8/29/25 9:06		RTK		32		1.08		0.59		0.91		10354		-1339		Yes		RTK		3D		1		441		1.157		1.05		0.669		3.125				WME		Water Meter

		UP3771		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3771		8/29/25 9:09		3728'41.4715"N		796'21.1378"W		321.82		612112.426		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		88.942		100		2		10		16.206		2.797		-69.6		Yes		8/29/25 9:09		FLOAT RTK		32		1.06		0.58		0.89		10060		-1339		Yes		FLOAT RTK		3D		0.6		441		2.945		2.393		0.551		7.589				WME		Water Meter

		UP3772		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3772		8/29/25 9:09		3728'41.3356"N		796'21.8636"W		60.037		612172.462		0		UNKNOWN		9		32768		CLASSIC		OMNI PEAK		140		100		100		-8		11		13.204		0.879		11.28		Yes		8/29/25 9:09		FLOAT RTK		32		1.06		0.58		0.89		10094		-1339		Yes		FLOAT RTK		3D		1.2		441		15.277		14.172		2.559		41.676				WME		Water Meter

		UP3773		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3773		8/29/25 9:10		3728'41.2621"N		796'22.1095"W		21.153		612193.615		0		UNKNOWN		11		32768		CLASSIC		OMNI PEAK		140		100		100		0		8		14.937		-2.456		-72.775		Yes		8/29/25 9:10		RTK		32		1.12		0.61		0.95		10149		-1339		Yes		RTK		3D		1.2		441		3.215		1.27		0.984		6.914				WME		Water Meter

		UP3774		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3774		8/29/25 9:11		3728'40.8875"N		796'22.5631"W		52.712		612246.327		0		UNKNOWN		24		32768		CLASSIC		OMNI PEAK		140		100		100		-1		11		17.658		-2.952		42.87		Yes		8/29/25 9:11		RTK		31		1.1		0.59		0.93		10220		-1339		Yes		RTK		3D		0.6		441		2.058		1.388		0.866		4.965				WME		Water Meter

		UP3775		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3775		8/29/25 9:12		3728'40.0548"N		796'23.1529"W		96.914		612343.241		0		UNKNOWN		14		32768		CLASSIC		OMNI PEAK		140		100		100		0		12		13.484		-2.382		-16.562		Yes		8/29/25 9:12		RTK		31		1.22		0.61		1.05		10258		-1339		Yes		RTK		3D		0.6		441		0.948		0.551		0.591		2.192				WME		Water Meter

		UP3776		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3776		8/29/25 9:17		3728'40.6378"N		796'27.2077"W		331.764		612675.005		0		UNKNOWN		20		32768		CLASSIC		OMNI PEAK		140		44.023		100		3		9		13.351		0.447		-68.732		Yes		8/29/25 9:17		RTK		31		1.12		0.57		0.96		10369		-1339		Yes		RTK		3D		1		441		0.472		0.472		0.394		1.336				WME		Water Meter

		UP3777		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3777		8/29/25 9:17		3728'40.6494"N		796'27.2164"W		1.368		612676.373		0		UNKNOWN		15		32768		CLASSIC		OMNI PEAK		140		100		100		4		5		13.455		-1.373		59.089		Yes		8/29/25 9:17		RTK		31		1.12		0.57		0.96		10368		-1339		Yes		RTK		3D		1.2		441		0.512		0.472		0.394		1.393				WME		Water Meter

		UP3778		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3778		8/29/25 9:18		3728'42.9680"N		796'28.6841"W		263.231		612939.604		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		86.62		100		1		9		18.422		-2.149		-23.728		Yes		8/29/25 9:18		RTK		31		1		0.54		0.84		10212		-1339		Yes		RTK		3D		0.8		441		0.85		0.472		0.591		1.946				WME		Water Meter

		UP3779		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3779		8/29/25 9:18		3728'42.9904"N		796'28.6883"W		2.299		612941.902		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		44.638		100		1		12		13.98		-1.527		-9.801		Yes		8/29/25 9:18		RTK		31		1.03		0.56		0.86		10212		-1339		Yes		RTK		3D		0.8		441		0.759		0.433		0.472		1.747				WME		Water Meter

		UP3780		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3780		8/29/25 9:19		3728'44.7387"N		796'29.1276"W		180.854		613122.756		0		UNKNOWN		11		32768		CLASSIC		OMNI PEAK		140		100		100		9		8		13.017		0.159		-8.807		Yes		8/29/25 9:19		RTK		32		1		0.54		0.84		10168		-1339		Yes		RTK		3D		0.6		441		0.551		0.433		0.433		1.402				WME		Water Meter

		UP3781		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3781		8/29/25 9:20		3728'44.7777"N		796'29.5695"W		35.796		613158.552		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		13.568		100		10		11		17.289		1.58		24.388		Yes		8/29/25 9:20		RTK		32		1.11		0.57		0.95		10152		-1339		Yes		RTK		3D		1.4		441		0.759		0.551		0.512		1.875				WME		Water Meter

		UP3782		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3782		8/29/25 9:20		3728'44.5062"N		796'29.9204"W		39.455		613198.007		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		86.409		100		2		11		15.699		-0.133		-61.291		Yes		8/29/25 9:20		RTK		32		1		0.54		0.84		10160		-1339		Yes		RTK		3D		0.6		441		0.433		0.37		0.394		1.139				WME		Water Meter

		UP3783		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3783		8/29/25 9:21		3728'43.8148"N		796'29.6562"W		73.289		613271.296		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		93.827		100		5		9		13.211		-4.985		-58.497		Yes		8/29/25 9:21		RTK		32		1		0.54		0.84		10168		-1339		Yes		RTK		3D		1.6		441		0.591		0.512		0.472		1.563				WME		Water Meter

		UP3784		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3784		8/29/25 9:22		3728'42.7341"N		796'29.3609"W		112.194		613383.49		0		UNKNOWN		96		32768		CLASSIC		OMNI PEAK		140		85.173		100		0		13		15.05		-0.703		-18.854		Yes		8/29/25 9:22		RTK		32		0.96		0.53		0.8		10205		-1339		Yes		RTK		3D		1		441		0.433		0.358		0.394		1.124				WME		Water Meter

		UP3785		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3785		8/29/25 9:22		3728'42.6858"N		796'29.3425"W		5.118		613388.608		0		UNKNOWN		18		32768		CLASSIC		OMNI PEAK		140		100		100		0		10		16.632		-0.707		-30.082		Yes		8/29/25 9:22		RTK		32		0.98		0.55		0.82		10207		-1339		Yes		RTK		3D		0.6		441		0.433		0.366		0.394		1.134				WME		Water Meter

		UP3786		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3786		8/29/25 9:22		3728'42.6858"N		796'29.3438"W		0.108		613388.715		0		UNKNOWN		3		32768		CLASSIC		OMNI PEAK		140		100		100		9		10		15.909		-0.129		-70.192		Yes		8/29/25 9:22		RTK		32		0.97		0.54		0.8		10208		-1339		Yes		RTK		3D		1.2		441		0.551		0.433		0.394		1.402				WME		Water Meter

		UP3787		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3787		8/29/25 9:25		3728'40.5883"N		796'29.5784"W		213.624		613602.339		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		100		100		-2		8		16.812		-1.193		-38.194		Yes		8/29/25 9:25		RTK		31		1.1		0.57		0.94		10272		-1339		Yes		RTK		3D		1		441		1.388		1.157		0.669		3.615				WME		Water Meter

		UP3788		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3788		8/29/25 9:25		3728'40.0244"N		796'30.2353"W		77.908		613680.248		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		41.245		100		-9		10		14.156		0.227		13.219		Yes		8/29/25 9:25		RTK		31		1.12		0.58		0.95		10192		-1339		Yes		RTK		3D		1.2		441		3.034		1.913		0.984		7.174				WME		Water Meter

		UP3789		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3789		8/29/25 9:27		3728'38.5939"N		796'31.6689"W		185.43		613865.678		0		UNKNOWN		1		32768		CLASSIC		OMNI PEAK		140		100		100		-12		9		14.022		0.6		-2.609		Yes		8/29/25 9:27		RTK		32		1.1		0.57		0.94		10229		-1339		Yes		RTK		3D		1.4		441		0.512		0.472		0.394		1.393				WME		Water Meter

		UP3790		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3790		8/29/25 9:27		3728'37.7691"N		796'32.4869"W		106.482		613972.16		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		11.905		100		-1		10		14.018		4.107		34.531		Yes		8/29/25 9:27		RTK		32		1.09		0.57		0.94		10331		-1339		Yes		RTK		3D		1.4		441		0.591		0.551		0.512		1.616				WME		Water Meter

		UP3791		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3791		8/29/25 9:29		3728'37.1458"N		796'34.1233"W		146.142		614118.302		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		16.806		100		2		9		11.09		-3.285		-37.636		Yes		8/29/25 9:29		RTK		32		1.09		0.57		0.93		10379		-1339		Yes		RTK		3D		1.2		441		0.672		0.472		0.394		1.643				WME		Water Meter

		UP3792		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3792		8/29/25 9:30		3728'37.4879"N		796'35.6709"W		129.344		614247.646		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		17.352		100		0		12		12.059		-0.858		-82.757		Yes		8/29/25 9:30		RTK		30		1.05		0.57		0.88		10368		-1339		Yes		RTK		3D		1.4		441		0.512		0.394		0.394		1.291				WME		Water Meter

		UP3793		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3793		8/29/25 9:31		3728'38.1375"N		796'36.1992"W		78.437		614326.083		0		UNKNOWN		28		32768		CLASSIC		OMNI PEAK		140		64.121		100		1		10		14.565		0.304		-61.285		Yes		8/29/25 9:31		RTK		32		1.04		0.56		0.88		10352		-1339		Yes		RTK		3D		0.8		441		1.512		1.05		0.669		3.681				WME		Water Meter

		UP3794		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3794		8/29/25 9:31		3728'38.0747"N		796'36.8247"W		50.761		614376.844		0		UNKNOWN		250		32768		CLASSIC		OMNI PEAK		140		73.701		100		12		7		15.023		-1.557		18.591		Yes		8/29/25 9:31		RTK		32		1.08		0.57		0.92		10359		-1339		Yes		RTK		3D		1.2		441		0.512		0.394		0.394		1.291				WME		Water Meter

		UP3795		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3795		8/29/25 9:32		3728'37.1939"N		796'36.3861"W		96.08		614472.925		0		UNKNOWN		111		32768		CLASSIC		OMNI PEAK		140		63.266		100		5		12		18.691		-5.289		39.633		Yes		8/29/25 9:32		RTK		32		1.04		0.56		0.88		10420		-1339		Yes		RTK		3D		2		441		0.672		0.512		0.433		1.689				WME		Water Meter

		UP3796		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3796		8/29/25 9:32		3728'37.1930"N		796'36.3183"W		5.463		614478.388		0		UNKNOWN		111		32768		CLASSIC		OMNI PEAK		140		66.621		100		1		11		16.269		-1.101		34.496		Yes		8/29/25 9:32		RTK		32		1.05		0.56		0.88		10417		-1339		Yes		RTK		3D		1		441		0.433		0.327		0.394		1.085				WME		Water Meter

		UP3797		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3797		8/29/25 9:34		3728'36.5454"N		796'34.4535"W		163.882		614642.27		0		UNKNOWN		26		32768		CLASSIC		OMNI PEAK		140		100		100		5		9		16.289		1.053		-34.618		Yes		8/29/25 9:34		RTK		32		1.01		0.54		0.85		10411		-1339		Yes		RTK		3D		0.6		441		0.512		0.433		0.394		1.341				WME		Water Meter

		UP3798		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3798		8/29/25 9:36		3728'36.5219"N		796'34.3203"W		10.981		614653.251		0		UNKNOWN		5		32768		CLASSIC		OMNI PEAK		140		100		100		-1		13		12.797		0.295		-3.95		Yes		8/29/25 9:36		RTK		32		1		0.54		0.84		10414		-1339		Yes		RTK		3D		0.8		441		2.058		1.05		0.787		4.62				WME		Water Meter

		UP3799		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3799		8/29/25 9:38		3728'37.5877"N		796'31.7080"W		236.484		614889.735		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		13.521		100		20		8		14.479		-2.692		-26.797		Yes		8/29/25 9:38		RTK		32		1.02		0.56		0.86		10309		-1339		Yes		RTK		3D		1.2		441		0.512		0.382		0.394		1.277				WME		Water Meter

		UP3800		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3800		8/29/25 9:38		3728'37.6131"N		796'31.6820"W		3.317		614893.051		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		65.628		100		-7		12		16.148		-4.12		88.246		Yes		8/29/25 9:39		RTK		32		1.02		0.56		0.85		10305		-1339		Yes		RTK		3D		1.2		441		0.472		0.358		0.394		1.186				WME		Water Meter

		UP3801		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3801		8/29/25 9:42		3728'39.1304"N		796'30.1512"W		197.195		615090.246		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		-1		12		19.052		0.405		-35.54		Yes		8/29/25 9:42		RTK		31		1.01		0.56		0.84		10207		-1339		Yes		RTK		3D		1.6		441		2.522		1.27		0.669		5.648				WME		Water Meter

		UP3802		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3802		8/29/25 9:42		3728'39.1460"N		796'30.1361"W		1.992		615092.239		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		22.273		100		-1		11		18.285		1.346		-39.33		Yes		8/29/25 9:42		FLOAT RTK		32		0.99		0.54		0.83		10209		-1339		Yes		FLOAT RTK		3D		0.8		441		2.945		2.393		0.394		7.589				WME		Water Meter

		UP3803		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3803		8/29/25 9:43		3728'40.1962"N		796'27.7692"W		218.32		615310.559		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		19.373		100		-2		11		17.156		-2.126		-13.902		Yes		8/29/25 9:43		RTK		31		0.98		0.54		0.82		10356		-1339		Yes		RTK		3D		1		441		0.551		0.433		0.394		1.402				WME		Water Meter

		UP3804		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3804		8/29/25 9:46		3728'38.2116"N		796'24.9242"W		304.965		615615.524		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		140		100		100		4		10		13.69		-0.061		10.593		Yes		8/29/25 9:46		RTK		31		0.97		0.54		0.81		10468		-1339		Yes		RTK		3D		0.6		441		2.207		1.512		0.827		5.351				WME		Water Meter

		UP3805		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3805		8/29/25 9:47		3728'37.1987"N		796'25.8315"W		126.075		615741.599		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		13.719		100		-1		11		12.175		-1.806		20.916		Yes		8/29/25 9:47		RTK		32		0.97		0.54		0.81		10502		-1339		Yes		RTK		3D		0.4		441		0.948		0.85		0.551		2.546				WME		Water Meter

		UP3806		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3806		8/29/25 9:48		3728'36.3331"N		796'26.7615"W		115.399		615856.998		0		UNKNOWN		31		32768		CLASSIC		OMNI PEAK		140		53.378		100		5		9		10.592		-1.398		19.478		Yes		8/29/25 9:48		RTK		32		1.02		0.56		0.85		10503		-1339		Yes		RTK		3D		2.6		441		0.472		0.472		0.394		1.336				WME		Water Meter

		UP3807		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3807		8/29/25 9:48		3728'35.4845"N		796'27.5290"W		105.977		615962.975		0		UNKNOWN		24		32768		CLASSIC		OMNI PEAK		140		100		100		7		10		15.748		-1.911		-54.112		Yes		8/29/25 9:48		RTK		32		0.97		0.54		0.8		10487		-1339		Yes		RTK		3D		1		441		0.472		0.394		0.394		1.23				WME		Water Meter

		UP3808		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3808		8/29/25 9:49		3728'34.7412"N		796'28.3107"W		98.219		616061.194		0		UNKNOWN		22		32768		CLASSIC		OMNI PEAK		140		100		100		4		9		11.315		-4.089		13.845		Yes		8/29/25 9:49		RTK		32		0.99		0.55		0.82		10491		-1339		Yes		RTK		3D		1		441		0.591		0.512		0.433		1.563				WME		Water Meter

		UP3809		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3809		8/29/25 9:49		3728'34.3413"N		796'28.6762"W		50.12		616111.314		0		UNKNOWN		37		32768		CLASSIC		OMNI PEAK		140		100		100		-8		7		10.699		3.038		32.627		Yes		8/29/25 9:49		RTK		32		0.98		0.55		0.82		10478		-1339		Yes		RTK		3D		1.2		441		0.759		0.591		0.472		1.923				WME		Water Meter

		UP3810		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3810		8/29/25 9:50		3728'33.7312"N		796'29.3716"W		83.454		616194.768		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		100		100		0		12		13.871		-2.972		-82.633		Yes		8/29/25 9:50		RTK		32		0.96		0.54		0.8		10483		-1339		Yes		RTK		3D		1.2		441		1.27		0.948		0.63		3.17				WME		Water Meter

		UP3811		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3811		8/29/25 9:50		3728'33.6982"N		796'29.4115"W		4.638		616199.406		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		4		12		16.898		3.491		7.929		Yes		8/29/25 9:50		RTK		32		0.96		0.54		0.79		10482		-1339		Yes		RTK		3D		1.4		441		1.05		0.759		0.551		2.59				WME		Water Meter

		UP3812		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3812		8/29/25 9:55		3728'32.1090"N		796'32.7830"W		315.721		616515.127		0		UNKNOWN		24		32768		CLASSIC		OMNI PEAK		140		52.311		100		5		5		14.71		1.587		24.296		Yes		8/29/25 9:55		RTK		31		1		0.56		0.83		10538		-1339		Yes		RTK		3D		1.4		441		0.472		0.362		0.394		1.191				WME		Water Meter

		UP3813		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3813		8/29/25 9:56		3728'32.0858"N		796'32.5940"W		15.4		616530.527		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		16.605		100		-15		7		16.652		0.485		87.44		Yes		8/29/25 9:56		RTK		31		1		0.56		0.83		10530		-1339		Yes		RTK		3D		0.6		441		0.551		0.472		0.394		1.452				WME		Water Meter

		UP3814		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3814		8/29/25 9:57		3728'32.2830"N		796'34.9957"W		194.401		616724.928		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		14.543		100		-1		13		14.035		-1.231		-8.943		Yes		8/29/25 9:57		FLOAT RTK		31		1		0.56		0.83		10551		-1339		Yes		FLOAT RTK		3D		0.8		441		3.865		3.313		0.669		10.181				WME		Water Meter

		UP3815		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3815		8/29/25 9:58		3728'32.6808"N		796'36.7340"W		145.655		616870.583		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		4.11		100		0		12		14.389		1.641		6.189		Yes		8/29/25 9:58		RTK		32		1		0.56		0.82		10573		-1339		Yes		RTK		3D		0.6		441		0.759		0.672		0.551		2.027				WME		Water Meter

		UP3816		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3816		8/29/25 9:58		3728'32.8883"N		796'37.4594"W		62.082		616932.665		0		UNKNOWN		16		32768		CLASSIC		OMNI PEAK		140		100		100		0		12		15.141		-0.511		52.716		Yes		8/29/25 9:58		RTK		32		1.03		0.58		0.85		10572		-1339		Yes		RTK		3D		0.6		441		0.672		0.472		0.472		1.643				WME		Water Meter

		UP3817		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3817		8/29/25 9:59		3728'33.3441"N		796'38.5048"W		96.032		617028.697		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		38.583		100		-1		12		13.562		0.939		48.898		Yes		8/29/25 9:59		RTK		32		1		0.56		0.83		10615		-1339		Yes		RTK		3D		1.4		441		0.591		0.472		0.394		1.513				WME		Water Meter

		UP3818		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3818		8/29/25 10:00		3728'33.9344"N		796'39.2295"W		83.611		617112.308		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		15.279		100		0		10		8.782		0.408		40.978		Yes		8/29/25 10:00		RTK		32		0.99		0.56		0.82		10679		-1339		Yes		RTK		3D		1		441		0.759		0.591		0.512		1.923				WME		Water Meter

		UP3819		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3819		8/29/25 10:01		3728'34.6268"N		796'40.1448"W		101.812		617214.12		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.259		100		0		11		10.684		-1.106		18.872		Yes		8/29/25 10:01		RTK		32		0.99		0.56		0.81		10693		-1339		Yes		RTK		3D		1.2		441		0.85		0.512		0.433		1.985				WME		Water Meter

		UP3820		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3820		8/29/25 10:06		3728'35.8262"N		796'41.4553"W		161.051		617375.171		0		UNKNOWN		179		32768		CLASSIC		OMNI PEAK		140		45.464		100		45		6		14.186		0.364		-28.025		Yes		8/29/25 10:06		RTK		32		0.97		0.56		0.8		10672		-1339		Yes		RTK		3D		1		441		1.512		0.759		0.63		3.383				WME		Water Meter

		UP3821		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3821		8/29/25 10:07		3728'36.7329"N		796'42.6323"W		132.069		617507.24		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		1		5		14.129		-1.406		28.311		Yes		8/29/25 10:07		RTK		32		0.97		0.56		0.79		10663		-1339		Yes		RTK		3D		0.6		441		2.207		0.85		0.63		4.731				WME		Water Meter

		UP3822		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3822		8/29/25 10:07		3728'37.1423"N		796'43.1142"W		56.831		617564.071		0		UNKNOWN		39		32768		CLASSIC		OMNI PEAK		140		60.197		100		-2		9		11.154		2.679		-42.747		Yes		8/29/25 10:07		RTK		32		0.98		0.58		0.8		10658		-1339		Yes		RTK		3D		1		441		1.157		0.672		0.551		2.677				WME		Water Meter

		UP3823		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3823		8/29/25 10:08		3728'38.9627"N		796'44.1655"W		203.152		617767.222		0		UNKNOWN		19		32768		CLASSIC		OMNI PEAK		140		100		100		5		11		14.554		-0.078		80.615		Yes		8/29/25 10:08		RTK		32		0.96		0.56		0.79		10657		-1339		Yes		RTK		3D		0.8		441		0.759		0.512		0.472		1.83				WME		Water Meter

		UP3824		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3824		8/29/25 10:11		3728'44.0864"N		796'41.8753"W		551.535		618318.757		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		89.728		100		3		12		13.887		0.831		56.736		Yes		8/29/25 10:11		RTK		30		1.14		0.63		0.94		10505		-1339		Yes		RTK		3D		1.2		441		1.27		0.551		0.512		2.77				WME		Water Meter

		UP3825		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3825		8/29/25 10:12		3728'44.6806"N		796'41.5913"W		64.477		618383.234		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		30		10		11.382		-0.199		-10.937		Yes		8/29/25 10:12		RTK		31		1.14		0.63		0.94		10393		-1339		Yes		RTK		3D		1.2		441		1.27		0.759		0.551		2.959				WME		Water Meter

		UP3826		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3826		8/29/25 10:15		3728'45.8412"N		796'41.0398"W		125.828		618509.062		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		50.357		100		17		9		15.571		-2.229		-11.868		Yes		8/29/25 10:15		RTK		32		1.1		0.61		0.91		10219		-1339		Yes		RTK		3D		0.4		441		0.948		0.512		0.551		2.154				WME		Water Meter

		UP3827		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3827		8/29/25 10:20		3728'39.4031"N		796'46.5143"W		787.939		619297.001		0		UNKNOWN		5		32768		CLASSIC		OMNI PEAK		140		100		100		1		5		14.077		-1.872		7.569		Yes		8/29/25 10:20		RTK		31		1.09		0.61		0.9		10703		-1339		Yes		RTK		3D		1.2		441		0.591		0.551		0.433		1.616				WME		Water Meter

		UP3828		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3828		8/29/25 10:22		3728'39.8165"N		796'48.2326"W		144.56		619441.561		0		UNKNOWN		30		32768		CLASSIC		OMNI PEAK		140		78.217		100		0		11		10.673		0.65		-31.054		Yes		8/29/25 10:22		RTK		31		1.08		0.61		0.89		10765		-1339		Yes		RTK		3D		1		441		0.472		0.339		0.394		1.162				WME		Water Meter

		UP3829		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3829		8/29/25 10:24		3728'41.0018"N		796'52.8509"W		390.779		619832.34		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		25.133		100		-20		10		19.063		-4.534		-65.079		Yes		8/29/25 10:24		RTK		28		1.09		0.61		0.9		10988		-1339		Yes		RTK		3D		1		441		1.05		0.948		0.551		2.828				WME		Water Meter

		UP3830		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3830		8/29/25 10:26		3728'41.4363"N		796'54.6674"W		152.742		619985.083		0		UNKNOWN		43		32768		CLASSIC		OMNI PEAK		140		100		100		-2		7		19.397		-3.263		-49.224		Yes		8/29/25 10:26		RTK		28		1.04		0.59		0.86		11088		-1339		Yes		RTK		3D		0.4		441		0.512		0.472		0.433		1.393				WME		Water Meter

		UP3831		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3831		8/29/25 10:27		3728'41.8950"N		796'57.0843"W		200.07		620185.153		0		UNKNOWN		10		32768		CLASSIC		OMNI PEAK		140		100		100		-8		11		14.533		0.808		-50.305		Yes		8/29/25 10:27		RTK		29		1.04		0.6		0.86		11119		-1339		Yes		RTK		3D		0.8		441		1.388		1.05		0.787		3.481				WME		Water Meter

		UP3832		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3832		8/29/25 10:28		3728'41.7839"N		796'58.3189"W		100.038		620285.191		0		UNKNOWN		49		32768		CLASSIC		OMNI PEAK		140		100		100		10		3		14.843		-4.925		73.881		Yes		8/29/25 10:28		FLOAT RTK		30		1.04		0.6		0.85		11079		-1339		Yes		FLOAT RTK		3D		0.6		441		4.049		3.129		0.591		10.235				WME		Water Meter

		UP3833		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3833		8/29/25 10:31		3728'42.6310"N		797'5.0763"W		550.78		620835.971		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		100		100		-3		11		12.09		2.043		-26.902		Yes		8/29/25 10:31		RTK		31		1.1		0.63		0.9		11160		-1339		Yes		RTK		3D		1		441		0.551		0.472		0.472		1.452				WME		Water Meter

		UP3834		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3834		8/29/25 10:32		3728'44.6893"N		797'5.5329"W		212.029		621048		0		UNKNOWN		16		32768		CLASSIC		OMNI PEAK		140		96.4		100		0		12		12.866		2.995		15.647		Yes		8/29/25 10:32		RTK		30		1.1		0.63		0.9		11110		-1339		Yes		RTK		3D		1		441		0.591		0.591		0.472		1.67				WME		Water Meter

		UP3835		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3835		8/29/25 10:32		3728'44.6703"N		797'5.5262"W		2.005		621050.005		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		59.35		100		5		9		17.143		0.134		-82.587		Yes		8/29/25 10:32		RTK		31		1.1		0.63		0.9		11109		-1339		Yes		RTK		3D		1.2		441		0.759		0.591		0.512		1.923				WME		Water Meter

		UP3836		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		3836		8/29/25 10:58		3728'48.4227"N		797'1.0896"W		522.013		621572.018		0		UNKNOWN		8		32768		CLASSIC		OMNI PEAK		140		13.845		100		-12		12		15.348		-0.187		-83.094		Yes		8/29/25 10:58		GPS SPS VALID		23		1.13		0.6		0.96		10954		-1339		Yes		AUTONOMOUS		3D		0		0		246.85		220.866		208.661		662.471				WME		Water Meter

		UP3837		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3837		8/29/25 10:59		3728'48.2991"N		797'1.2365"W		17.233		621589.251		0		UNKNOWN		48		32768		CLASSIC		OMNI PEAK		140		6.917		100		1		10		12.258		0.197		1.84		Yes		8/29/25 10:59		RTK		26		1.19		0.63		1.01		10760		-1339		Yes		RTK		3D		1		696		0.759		0.591		0.512		1.923				WME		Water Meter

		UP3838		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3838		8/29/25 10:59		3728'48.3106"N		797'1.2263"W		1.428		621590.679		0		UNKNOWN		31		32768		CLASSIC		OMNI PEAK		140		8.186		100		15		13		11.915		0.303		-2.394		Yes		8/29/25 10:59		RTK		25		1.19		0.63		1.01		10757		-1339		Yes		RTK		3D		5		696		0.759		0.591		0.512		1.923				WME		Water Meter

		UP3839		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3839		8/29/25 10:59		3728'48.3249"N		797'1.2345"W		1.588		621592.267		0		UNKNOWN		35		32768		CLASSIC		OMNI PEAK		140		9.887		100		21		6		14.298		-1.368		21.302		Yes		8/29/25 10:59		RTK		25		1.19		0.63		1.01		10756		-1339		Yes		RTK		3D		3.8		696		0.591		0.472		0.433		1.513				WME		Water Meter

		UP3840		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3840		8/29/25 11:00		3728'48.3415"N		797'1.2176"W		2.164		621594.431		0		UNKNOWN		21		32768		CLASSIC		OMNI PEAK		140		9.674		100		-20		10		16.444		-0.875		-82.7		Yes		8/29/25 11:00		RTK		25		1.19		0.63		1.01		10756		-1339		Yes		RTK		3D		2.8		696		0.948		0.591		0.512		2.233				WME		Water Meter

		UP3841		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3841		8/29/25 11:02		3728'45.5693"N		796'55.6504"W		529.131		622123.562		0		UNKNOWN		36		32768		CLASSIC		OMNI PEAK		140		75.312		100		7		10		13.182		-2.552		-45.501		Yes		8/29/25 11:02		RTK		30		1.29		0.68		1.1		10739		-1339		Yes		RTK		3D		1		696		0.512		0.433		0.433		1.341				WME		Water Meter

		UP3842		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3842		8/29/25 11:02		3728'45.5561"N		796'55.6338"W		1.898		622125.46		0		UNKNOWN		32		32768		CLASSIC		OMNI PEAK		140		52.321		100		-3		10		14.357		-0.032		-60.814		Yes		8/29/25 11:02		RTK		30		1.2		0.63		1.02		10740		-1339		Yes		RTK		3D		0.6		696		0.382		0.35		0.394		1.037				WME		Water Meter

		UP3843		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3843		8/29/25 11:02		3728'45.5412"N		796'55.6193"W		1.907		622127.367		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		16.186		100		-8		10		13.198		-0.04		16.667		Yes		8/29/25 11:02		RTK		30		1.2		0.63		1.02		10742		-1339		Yes		RTK		3D		0.6		696		0.472		0.433		0.394		1.282				WME		Water Meter

		UP3844		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3844		8/29/25 11:02		3728'45.5250"N		796'55.5996"W		2.285		622129.653		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		140		100		100		0		12		14.692		0.746		-25.232		Yes		8/29/25 11:02		RTK		30		1.2		0.63		1.02		10744		-1339		Yes		RTK		3D		1		696		0.551		0.472		0.433		1.452				WME		Water Meter

		UP3845		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3845		8/29/25 11:07		3728'44.8663"N		796'55.2791"W		71.63		622201.283		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		1		8		14.462		-2.526		64.943		Yes		8/29/25 11:07		RTK		30		1.22		0.63		1.04		10850		-1339		Yes		RTK		3D		1		696		2.058		0.948		0.787		4.531				WME		Water Meter

		UP3846		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3846		8/29/25 11:07		3728'44.8579"N		796'55.2684"W		1.212		622202.494		0		UNKNOWN		14		32768		CLASSIC		OMNI PEAK		140		100		100		-12		11		15.868		-0.053		-14.269		Yes		8/29/25 11:07		RTK		30		1.22		0.63		1.04		10849		-1339		Yes		RTK		3D		2.2		696		0.551		0.394		0.394		1.355				WME		Water Meter

		UP3847		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3847		8/29/25 11:07		3728'44.8479"N		796'55.2591"W		1.262		622203.756		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		11.514		100		-9		6		19.49		0.535		-29.106		Yes		8/29/25 11:07		RTK		30		1.22		0.63		1.04		10851		-1339		Yes		RTK		3D		1.4		696		0.948		0.672		0.551		2.323				WME		Water Meter

		UP3848		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3848		8/29/25 11:07		3728'44.8348"N		796'55.2449"W		1.753		622205.509		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		97.365		100		6		9		19.277		-0.716		-9.353		Yes		8/29/25 11:07		RTK		29		1.22		0.63		1.04		10849		-1339		Yes		RTK		3D		1.8		696		1.157		0.759		0.591		2.768				WME		Water Meter

		UP3849		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3849		8/29/25 11:08		3728'43.8134"N		796'53.9637"W		146.209		622351.718		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		-2		12		13.809		-1.552		-21.495		Yes		8/29/25 11:08		RTK		30		1.22		0.63		1.05		10927		-1339		Yes		RTK		3D		0.6		696		0.759		0.591		0.512		1.923				WME		Water Meter

		UP3850		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3850		8/29/25 11:08		3728'43.8069"N		796'53.9430"W		1.79		622353.508		0		UNKNOWN		7		32768		CLASSIC		OMNI PEAK		140		100		100		-2		13		15.053		-3.604		-42.238		Yes		8/29/25 11:08		RTK		29		1.22		0.63		1.05		10927		-1339		Yes		RTK		3D		1.2		696		1.512		1.05		0.669		3.681				WME		Water Meter

		UP3851		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3851		8/29/25 11:08		3728'43.8021"N		796'53.9313"W		1.061		622354.569		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		0		10		12.929		1.103		-35.9		Yes		8/29/25 11:08		RTK		30		1.22		0.63		1.05		10927		-1339		Yes		RTK		3D		1.2		696		0.591		0.512		0.472		1.563				WME		Water Meter

		UP3852		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3852		8/29/25 11:08		3728'43.7975"N		796'53.9159"W		1.325		622355.894		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		59.244		100		0		11		14.267		-0.421		-0.908		Yes		8/29/25 11:08		RTK		30		1.22		0.63		1.05		10925		-1339		Yes		RTK		3D		3.8		696		0.85		0.672		0.551		2.168				WME		Water Meter

		UP3853		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3853		8/29/25 11:10		3728'43.2001"N		796'51.7214"W		186.787		622542.681		0		UNKNOWN		479		32768		CLASSIC		OMNI PEAK		140		30.798		100		-1		11		19.662		-0.959		55.93		Yes		8/29/25 11:10		RTK		29		1.23		0.63		1.05		10917		-1339		Yes		RTK		3D		0.8		696		0.433		0.394		0.394		1.171				WME		Water Meter

		UP3854		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3854		8/29/25 11:10		3728'43.1949"N		796'51.6988"W		1.892		622544.572		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		33.667		100		2		11		18.419		-0.152		55.228		Yes		8/29/25 11:10		RTK		29		1.23		0.63		1.05		10915		-1339		Yes		RTK		3D		0.8		696		0.433		0.433		0.394		1.225				WME		Water Meter

		UP3855		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3855		8/29/25 11:10		3728'43.1913"N		796'51.6786"W		1.663		622546.235		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		8.655		100		-2		10		16.376		1.192		-53.89		Yes		8/29/25 11:10		RTK		29		1.23		0.63		1.05		10915		-1339		Yes		RTK		3D		0.6		696		0.551		0.512		0.472		1.504				WME		Water Meter

		UP3856		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3856		8/29/25 11:11		3728'43.1869"N		796'51.6586"W		1.673		622547.908		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		28.84		100		-3		10		12.17		4.264		-1.471		Yes		8/29/25 11:11		RTK		29		1.23		0.63		1.05		10920		-1339		Yes		RTK		3D		5.2		696		0.551		0.512		0.433		1.504				WME		Water Meter

		UP3857		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3857		8/29/25 11:13		3728'42.7177"N		796'49.7683"W		159.462		622707.369		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		13.115		100		-3		9		14.578		-2.205		-70.8		Yes		8/29/25 11:13		RTK		29		1.13		0.61		0.95		10973		-1339		Yes		RTK		3D		1.6		696		0.512		0.472		0.394		1.393				WME		Water Meter

		UP3858		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3858		8/29/25 11:13		3728'42.7104"N		796'49.7426"W		2.197		622709.566		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		55.998		100		-1		11		13.628		0.003		-88.93		Yes		8/29/25 11:13		RTK		29		1.13		0.61		0.95		10973		-1339		Yes		RTK		3D		1.2		696		1.05		0.759		0.591		2.59				WME		Water Meter

		UP3859		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3859		8/29/25 11:13		3728'42.7024"N		796'49.7237"W		1.719		622711.285		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		33.211		100		5		9		13.839		1.199		64.949		Yes		8/29/25 11:13		RTK		29		1.13		0.61		0.95		10971		-1339		Yes		RTK		3D		0.8		696		0.591		0.512		0.433		1.563				WME		Water Meter

		UP3860		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3860		8/29/25 11:13		3728'42.6931"N		796'49.7023"W		1.966		622713.251		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		22.584		100		13		9		11.77		-3.818		-21.836		Yes		8/29/25 11:13		RTK		29		1.13		0.61		0.95		10971		-1339		Yes		RTK		3D		4.6		696		0.948		0.759		0.591		2.427				WME		Water Meter

		UP3861		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3861		8/29/25 11:15		3728'42.9547"N		796'48.2360"W		120.994		622834.246		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		41.044		100		-18		7		15.437		1.437		22.192		Yes		8/29/25 11:15		RTK		29		1.13		0.61		0.95		10962		-1339		Yes		RTK		3D		0.6		696		0.948		0.551		0.512		2.192				WME		Water Meter

		UP3862		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3862		8/29/25 11:15		3728'42.9740"N		796'48.2356"W		1.949		622836.195		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		29.054		100		1		11		14.134		-2.5		30.811		Yes		8/29/25 11:15		RTK		29		1.13		0.61		0.95		10963		-1339		Yes		RTK		3D		1.8		696		1.05		0.672		0.551		2.493				WME		Water Meter

		UP3863		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3863		8/29/25 11:15		3728'42.9893"N		796'48.2164"W		2.19		622838.385		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		12.979		100		0		13		15.127		1.049		-48.319		Yes		8/29/25 11:15		RTK		29		1.13		0.61		0.95		10961		-1339		Yes		RTK		3D		3.6		696		1.388		0.85		0.63		3.256				WME		Water Meter

		UP3864		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3864		8/29/25 11:15		3728'43.0101"N		796'48.2241"W		2.209		622840.595		0		UNKNOWN		10		32768		CLASSIC		OMNI PEAK		140		100		100		1		9		13.033		2.575		-18.155		Yes		8/29/25 11:15		RTK		29		1.13		0.61		0.95		10962		-1339		Yes		RTK		3D		3.8		696		1.913		1.05		0.709		4.365				WME		Water Meter

		UP3865		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3865		8/29/25 11:19		3728'43.6723"N		796'51.3271"W		258.692		623099.287		0		UNKNOWN		104		32768		CLASSIC		OMNI PEAK		140		48.671		100		0		13		13.088		-3.07		-47.223		Yes		8/29/25 11:19		RTK		29		1.13		0.61		0.95		10890		-1339		Yes		RTK		3D		0.6		696		0.759		0.672		0.433		2.027				WME		Water Meter

		UP3866		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3866		8/29/25 11:19		3728'43.6807"N		796'51.3471"W		1.822		623101.109		0		UNKNOWN		5		32768		CLASSIC		OMNI PEAK		140		100		100		0		12		15.568		-0.203		-16.292		Yes		8/29/25 11:19		RTK		29		1.13		0.61		0.95		10886		-1339		Yes		RTK		3D		1.2		696		0.591		0.551		0.394		1.616				WME		Water Meter

		UP3867		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3867		8/29/25 11:19		3728'43.6888"N		796'51.3693"W		1.965		623103.074		0		UNKNOWN		47		32768		CLASSIC		OMNI PEAK		140		36.325		100		0		8		16.468		-0.901		73.183		Yes		8/29/25 11:19		RTK		29		1.13		0.61		0.95		10880		-1339		Yes		RTK		3D		1.2		696		0.759		0.591		0.512		1.923				WME		Water Meter

		UP3868		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3868		8/29/25 11:19		3728'43.6943"N		796'51.3880"W		1.611		623104.685		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		19.032		100		0		10		14.383		-1.173		6.733		Yes		8/29/25 11:19		RTK		29		1.13		0.61		0.95		10880		-1339		Yes		RTK		3D		1.4		696		0.85		0.85		0.591		2.405				WME		Water Meter

		UP3869		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3869		8/29/25 11:19		3728'43.6984"N		796'51.4075"W		1.618		623106.303		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		28.832		100		2		10		15.179		-2.327		-85.438		Yes		8/29/25 11:19		RTK		28		1.13		0.61		0.95		10877		-1339		Yes		RTK		3D		1.2		696		1.157		0.948		0.63		2.992				WME		Water Meter

		UP3870		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3870		8/29/25 11:19		3728'43.7062"N		796'51.4248"W		1.602		623107.905		0		UNKNOWN		90		32768		CLASSIC		OMNI PEAK		140		48.064		100		17		7		12.756		-2.038		-11.155		Yes		8/29/25 11:19		RTK		28		1.13		0.61		0.95		10877		-1339		Yes		RTK		3D		0.6		696		0.591		0.591		0.512		1.67				WME		Water Meter

		UP3871		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3871		8/29/25 11:23		3728'44.1250"N		796'53.0778"W		139.7		623247.605		0		UNKNOWN		124		32768		CLASSIC		OMNI PEAK		140		47.287		100		0		12		13.816		4.497		-36.362		Yes		8/29/25 11:23		RTK		30		1.13		0.61		0.95		10865		-1339		Yes		RTK		3D		1.2		696		0.85		0.672		0.551		2.168				WME		Water Meter

		UP3872		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3872		8/29/25 11:23		3728'44.1272"N		796'53.0940"W		1.327		623248.931		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		27.448		100		0		11		13.537		3.861		-39.964		Yes		8/29/25 11:24		RTK		29		1.13		0.61		0.95		10866		-1339		Yes		RTK		3D		0.6		696		1.157		0.948		0.669		2.992				WME		Water Meter

		UP3873		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3873		8/29/25 11:24		3728'44.1332"N		796'53.1038"W		0.992		623249.923		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		69.718		100		-4		9		15.241		-0.879		16.983		Yes		8/29/25 11:24		RTK		29		1.13		0.61		0.95		10864		-1339		Yes		RTK		3D		1.2		696		0.472		0.433		0.394		1.282				WME		Water Meter

		UP3874		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3874		8/29/25 11:24		3728'44.1360"N		796'53.1178"W		1.164		623251.087		0		UNKNOWN		13		32768		CLASSIC		OMNI PEAK		140		97.669		100		-2		6		15.886		-3.608		-26.178		Yes		8/29/25 11:24		RTK		30		1.13		0.61		0.95		10865		-1339		Yes		RTK		3D		0.8		696		0.551		0.472		0.433		1.452				WME		Water Meter

		UP3875		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3875		8/29/25 11:24		3728'44.1394"N		796'53.1296"W		1.008		623252.095		0		UNKNOWN		250		32768		CLASSIC		OMNI PEAK		140		39.226		100		-3		12		16.956		-2.42		12.905		Yes		8/29/25 11:24		RTK		29		1.13		0.61		0.95		10866		-1339		Yes		RTK		3D		0.6		696		1.05		0.759		0.591		2.59				WME		Water Meter

		UP3876		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3876		8/29/25 11:24		3728'44.1436"N		796'53.1476"W		1.516		623253.611		0		UNKNOWN		42		32768		CLASSIC		OMNI PEAK		140		90.259		100		1		9		13.371		1.501		1.687		Yes		8/29/25 11:24		RTK		30		1.13		0.61		0.95		10866		-1339		Yes		RTK		3D		1.2		696		0.433		0.374		0.394		1.144				WME		Water Meter

		UP3877		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3877		8/29/25 11:29		3728'45.5631"N		796'54.7859"W		195.284		623448.895		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		34.555		100		-23		10		11.784		-2.244		11.44		Yes		8/29/25 11:29		RTK		31		1.13		0.61		0.95		10793		-1339		Yes		RTK		3D		1		696		0.512		0.433		0.394		1.341				WME		Water Meter

		UP3878		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3878		8/29/25 11:29		3728'45.5739"N		796'54.7989"W		1.514		623450.409		0		UNKNOWN		61		32768		CLASSIC		OMNI PEAK		140		100		100		-8		9		15.319		1.091		79.686		Yes		8/29/25 11:29		RTK		30		1.13		0.61		0.95		10791		-1339		Yes		RTK		3D		1.6		696		0.551		0.512		0.433		1.504				WME		Water Meter

		UP3879		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3879		8/29/25 11:29		3728'45.5859"N		796'54.8044"W		1.295		623451.704		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		36.351		100		0		6		12.934		-7.726		14.996		Yes		8/29/25 11:29		RTK		31		1.13		0.61		0.95		10790		-1339		Yes		RTK		3D		2		696		0.551		0.512		0.433		1.504				WME		Water Meter

		UP3880		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3880		8/29/25 11:29		3728'45.5957"N		796'54.8194"W		1.561		623453.265		0		UNKNOWN		1		32768		CLASSIC		OMNI PEAK		140		100		100		7		8		12.577		0.74		-10.703		Yes		8/29/25 11:29		RTK		31		1.13		0.61		0.95		10790		-1339		Yes		RTK		3D		1.4		696		0.551		0.472		0.394		1.452				WME		Water Meter

		UP3881		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3881		8/29/25 11:31		3728'51.2351"N		796'55.2532"W		573.186		624026.451		0		UNKNOWN		119		32768		CLASSIC		OMNI PEAK		140		67.028		100		-17		9		10.941		0.634		-74.012		Yes		8/29/25 11:31		RTK		31		1.13		0.61		0.95		10468		-1339		Yes		RTK		3D		1.2		696		0.433		0.37		0.394		1.139				WME		Water Meter

		UP3882		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3882		8/29/25 11:31		3728'51.2524"N		796'55.2590"W		1.817		624028.267		0		UNKNOWN		35		32768		CLASSIC		OMNI PEAK		140		100		100		52		7		11.666		-2.815		-87.751		Yes		8/29/25 11:31		RTK		31		1.13		0.61		0.95		10469		-1339		Yes		RTK		3D		2		696		0.551		0.433		0.394		1.402				WME		Water Meter

		UP3883		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3883		8/29/25 11:31		3728'51.2640"N		796'55.2571"W		1.187		624029.455		0		UNKNOWN		8		32768		CLASSIC		OMNI PEAK		140		100		100		3		10		12.371		-0.418		9.308		Yes		8/29/25 11:31		RTK		31		1.13		0.61		0.95		10467		-1339		Yes		RTK		3D		1.4		696		0.433		0.346		0.394		1.109				WME		Water Meter

		UP3884		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3884		8/29/25 11:31		3728'51.2790"N		796'55.2600"W		1.542		624030.997		0		UNKNOWN		39		32768		CLASSIC		OMNI PEAK		140		91.629		100		0		11		13.143		0.514		-68.82		Yes		8/29/25 11:31		RTK		31		1.13		0.61		0.95		10467		-1339		Yes		RTK		3D		4		696		0.591		0.472		0.433		1.513				WME		Water Meter

		UP3885		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3885		8/29/25 11:31		3728'51.4428"N		796'55.3954"W		19.877		624050.874		0		UNKNOWN		9		32768		CLASSIC		OMNI PEAK		140		100		100		0		9		8.688		-0.35		72.27		Yes		8/29/25 11:31		RTK		31		1.13		0.61		0.95		10472		-1339		Yes		RTK		3D		0.6		696		0.472		0.433		0.394		1.282				WME		Water Meter

		UP3886		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3886		8/29/25 11:31		3728'51.4601"N		796'55.4037"W		1.875		624052.749		0		UNKNOWN		10		32768		CLASSIC		OMNI PEAK		140		100		100		10		10		8.533		1.841		-57.093		Yes		8/29/25 11:31		RTK		31		1.13		0.61		0.95		10472		-1339		Yes		RTK		3D		1.8		696		0.472		0.394		0.394		1.23				WME		Water Meter

		UP3887		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3887		8/29/25 11:31		3728'51.4700"N		796'55.4060"W		1.021		624053.77		0		UNKNOWN		1		32768		CLASSIC		OMNI PEAK		140		100		100		1		9		10.726		2.097		-48.757		Yes		8/29/25 11:31		RTK		31		1.13		0.61		0.95		10470		-1339		Yes		RTK		3D		1.8		696		0.386		0.323		0.394		1.006				WME		Water Meter

		UP3888		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3888		8/29/25 11:32		3728'51.4880"N		796'55.4129"W		1.908		624055.678		0		UNKNOWN		7		32768		CLASSIC		OMNI PEAK		140		100		100		0		9		12.957		4.347		-24.341		Yes		8/29/25 11:32		RTK		30		1.13		0.61		0.95		10471		-1339		Yes		RTK		3D		1.2		696		0.472		0.374		0.394		1.205				WME		Water Meter

		UP3889		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3889		8/29/25 11:34		3728'50.3742"N		796'56.9780"W		169.247		624224.926		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		-1		11		20.791		-1.023		-40.312		Yes		8/29/25 11:34		RTK		30		1.02		0.58		0.84		10590		-1339		Yes		RTK		3D		1		696		0.591		0.433		0.394		1.465				WME		Water Meter

		UP3890		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3890		8/29/25 11:34		3728'50.3612"N		796'56.9915"W		1.711		624226.637		0		UNKNOWN		17		32768		CLASSIC		OMNI PEAK		140		95.259		100		0		8		16.071		-1.859		-80.274		Yes		8/29/25 11:34		RTK		29		1.02		0.58		0.84		10590		-1339		Yes		RTK		3D		1		696		1.157		0.85		0.63		2.873				WME		Water Meter

		UP3891		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3891		8/29/25 11:34		3728'50.3501"N		796'56.9974"W		1.221		624227.858		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		13.563		100		0		13		14.76		-2.436		20.031		Yes		8/29/25 11:34		RTK		32		1.02		0.58		0.84		10590		-1339		Yes		RTK		3D		0.8		696		0.85		0.551		0.472		2.027				WME		Water Meter

		UP3892		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3892		8/29/25 11:35		3728'50.3377"N		796'57.0078"W		1.514		624229.373		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		-1		11		15.141		-2.584		-16.712		Yes		8/29/25 11:35		RTK		32		1.02		0.58		0.84		10590		-1339		Yes		RTK		3D		1.6		696		0.551		0.433		0.394		1.402				WME		Water Meter

		UP3893		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3893		8/29/25 11:36		3728'49.6071"N		796'59.9100"W		245.119		624474.492		0		UNKNOWN		102		32768		CLASSIC		OMNI PEAK		140		45.355		100		2		8		15.42		0.374		-7.684		Yes		8/29/25 11:36		RTK		32		1.12		0.62		0.94		10798		-1339		Yes		RTK		3D		0.8		696		0.759		0.551		0.512		1.875				WME		Water Meter

		UP3894		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3894		8/29/25 11:36		3728'49.6119"N		796'59.9246"W		1.273		624475.765		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		45.529		100		-2		8		18.559		-2.087		65.626		Yes		8/29/25 11:36		RTK		32		1.12		0.62		0.94		10801		-1339		Yes		RTK		3D		1		696		0.948		0.759		0.551		2.427				WME		Water Meter

		UP3895		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3895		8/29/25 11:36		3728'49.6137"N		796'59.9398"W		1.241		624477.006		0		UNKNOWN		18		32768		CLASSIC		OMNI PEAK		140		73.265		100		9		9		15.988		-2.322		-79.963		Yes		8/29/25 11:36		RTK		32		1.12		0.62		0.94		10800		-1339		Yes		RTK		3D		4		696		0.551		0.512		0.433		1.504				WME		Water Meter

		UP3896		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3896		8/29/25 11:36		3728'49.6168"N		796'59.9557"W		1.317		624478.323		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		9.157		100		11		11		15.805		-4.678		53.843		Yes		8/29/25 11:36		RTK		32		1.12		0.62		0.94		10801		-1339		Yes		RTK		3D		2		696		0.551		0.512		0.433		1.504				WME		Water Meter

		UP3897		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3897		8/29/25 11:37		3728'50.0341"N		797'1.1518"W		105.184		624583.507		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		2		10		16.22		-1.617		25.428		Yes		8/29/25 11:37		RTK		32		1.12		0.62		0.93		10848		-1339		Yes		RTK		3D		1.2		696		0.551		0.512		0.433		1.504				WME		Water Meter

		UP3898		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3898		8/29/25 11:37		3728'50.0372"N		797'1.1691"W		1.432		624584.939		0		UNKNOWN		29		32768		CLASSIC		OMNI PEAK		140		100		100		0		12		15.587		-1.791		-49.843		Yes		8/29/25 11:37		RTK		32		1.12		0.62		0.93		10848		-1339		Yes		RTK		3D		1		696		1.27		0.85		0.669		3.057				WME		Water Meter

		UP3899		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3899		8/29/25 11:37		3728'50.0383"N		797'1.1837"W		1.182		624586.12		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		28.853		100		3		12		8.771		2.069		-63.773		Yes		8/29/25 11:37		RTK		31		1.12		0.62		0.93		10848		-1339		Yes		RTK		3D		5.8		696		0.551		0.512		0.433		1.504				WME		Water Meter

		UP3900		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3900		8/29/25 11:37		3728'50.0414"N		797'1.2008"W		1.408		624587.528		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		-1		13		14.054		-0.882		-27.309		Yes		8/29/25 11:37		RTK		32		1.12		0.62		0.93		10848		-1339		Yes		RTK		3D		4.2		696		0.672		0.551		0.472		1.738				WME		Water Meter

		UP3901		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3901		8/29/25 11:41		3728'51.7491"N		797'0.4440"W		183.644		624771.172		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		-1		7		9.786		1.357		-27.479		Yes		8/29/25 11:41		RTK		32		1.2		0.63		1.02		10649		-1339		Yes		RTK		3D		0.8		696		0.672		0.472		0.394		1.643				WME		Water Meter

		UP3902		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3902		8/29/25 11:41		3728'51.7557"N		797'0.4352"W		0.968		624772.14		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		7.763		100		0		11		13.693		-1.823		-74.651		Yes		8/29/25 11:41		RTK		32		1.2		0.63		1.02		10649		-1339		Yes		RTK		3D		0.6		696		4.63		2.362		0.984		10.395				WME		Water Meter

		UP3903		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3903		8/29/25 11:41		3728'51.7705"N		797'0.4288"W		1.595		624773.736		0		UNKNOWN		5		32768		CLASSIC		OMNI PEAK		140		100		100		7		7		12.705		-2.675		-21.815		Yes		8/29/25 11:41		RTK		31		1.2		0.63		1.02		10638		-1339		Yes		RTK		3D		1.4		696		1.27		0.85		0.591		3.057				WME		Water Meter

		UP3904		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3904		8/29/25 11:41		3728'51.7794"N		797'0.4203"W		1.134		624774.869		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		9.44		100		-3		11		12.299		-1.973		80.506		Yes		8/29/25 11:41		RTK		31		1.2		0.63		1.02		10640		-1339		Yes		RTK		3D		0.8		696		0.948		0.672		0.433		2.323				WME		Water Meter

		UP3905		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3905		8/29/25 11:44		3728'53.6120"N		796'59.6119"W		196.979		624971.848		0		UNKNOWN		35		32768		CLASSIC		OMNI PEAK		140		74.91		100		-2		7		13.144		0.448		-1.899		Yes		8/29/25 11:44		RTK		31		1.06		0.58		0.89		10402		-1339		Yes		RTK		3D		0.8		696		0.512		0.433		0.394		1.341				WME		Water Meter

		UP3906		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3906		8/29/25 11:44		3728'53.6242"N		796'59.6261"W		1.679		624973.527		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		1.335		100		3		10		13.794		0.932		-60.618		Yes		8/29/25 11:44		RTK		31		1.06		0.58		0.89		10409		-1339		Yes		RTK		3D		1.4		696		0.85		0.551		0.551		2.027				WME		Water Meter

		UP3907		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3907		8/29/25 11:44		3728'53.6319"N		796'59.6370"W		1.176		624974.703		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		41.457		100		-7		8		22.349		-3.675		-50.865		Yes		8/29/25 11:44		RTK		31		1.06		0.58		0.89		10405		-1339		Yes		RTK		3D		0.6		696		0.85		0.551		0.472		2.027				WME		Water Meter

		UP3908		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3908		8/29/25 11:44		3728'53.6406"N		796'59.6539"W		1.623		624976.326		0		UNKNOWN		18		32768		CLASSIC		OMNI PEAK		140		100		100		0		11		12.064		1.652		21.991		Yes		8/29/25 11:44		RTK		31		1.06		0.58		0.89		10402		-1339		Yes		RTK		3D		1		696		1.05		0.759		0.551		2.59				WME		Water Meter

		UP3909		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3909		8/29/25 11:46		3728'53.5957"N		796'59.8043"W		12.937		624989.263		0		UNKNOWN		16		32768		CLASSIC		OMNI PEAK		140		74.366		100		1		12		10.771		-4.515		11.11		Yes		8/29/25 11:46		RTK		31		1.06		0.58		0.89		10403		-1339		Yes		RTK		3D		1		696		0.591		0.394		0.394		1.42				WME		Water Meter

		UP3910		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3910		8/29/25 11:46		3728'53.6081"N		796'59.7882"W		1.801		624991.064		0		UNKNOWN		140		32768		CLASSIC		OMNI PEAK		140		61.139		100		10		9		13.165		-1.97		-21.16		Yes		8/29/25 11:46		RTK		30		1.06		0.58		0.89		10402		-1339		Yes		RTK		3D		1.2		696		1.05		0.672		0.512		2.493				WME		Water Meter

		UP3911		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3911		8/29/25 11:47		3728'53.6148"N		796'59.7786"W		1.035		624992.099		0		UNKNOWN		10		32768		CLASSIC		OMNI PEAK		140		100		100		-3		6		16.814		-0.067		61.149		Yes		8/29/25 11:47		RTK		30		1.06		0.58		0.89		10405		-1339		Yes		RTK		3D		2.2		696		1.27		0.948		0.551		3.17				WME		Water Meter

		UP3912		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3912		8/29/25 11:47		3728'53.6250"N		796'59.7708"W		1.206		624993.305		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		41.213		100		0		11		17.87		4.994		41.688		Yes		8/29/25 11:47		RTK		31		1.06		0.58		0.89		10404		-1339		Yes		RTK		3D		0.6		696		0.759		0.591		0.472		1.923				WME		Water Meter

		UP3913		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3913		8/29/25 11:47		3728'53.6315"N		796'59.7583"W		1.199		624994.504		0		UNKNOWN		32		32768		CLASSIC		OMNI PEAK		140		59.954		100		0		10		13.221		1.97		-31.746		Yes		8/29/25 11:47		RTK		31		1.06		0.58		0.89		10407		-1339		Yes		RTK		3D		1.4		696		3.402		2.362		0.984		8.283				WME		Water Meter

		UP3914		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3914		8/29/25 11:47		3728'53.6438"N		796'59.7443"W		1.683		624996.187		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		3		9		16.21		-0.904		-66.414		Yes		8/29/25 11:47		RTK		31		1.06		0.58		0.89		10406		-1339		Yes		RTK		3D		1.4		696		0.591		0.551		0.433		1.616				WME		Water Meter

		UP3915		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3915		8/29/25 11:49		3728'51.2555"N		797'4.3916"W		445.737		625441.925		0		UNKNOWN		357		32768		CLASSIC		OMNI PEAK		140		27.739		100		0		13		11.884		-2.338		-11.65		Yes		8/29/25 11:49		RTK		30		1.06		0.58		0.88		10913		-1339		Yes		RTK		3D		1		696		1.05		0.759		0.512		2.59				WME		Water Meter

		UP3916		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3916		8/29/25 11:49		3728'51.2637"N		797'4.4120"W		1.846		625443.77		0		UNKNOWN		37		32768		CLASSIC		OMNI PEAK		140		83.195		100		1		10		7.806		-1.486		5.405		Yes		8/29/25 11:49		RTK		28		1.06		0.58		0.88		10911		-1339		Yes		RTK		3D		2		696		1.157		0.948		0.63		2.992				WME		Water Meter

		UP3917		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3917		8/29/25 11:49		3728'51.2709"N		797'4.4241"W		1.212		625444.983		0		UNKNOWN		17		32768		CLASSIC		OMNI PEAK		140		62.447		100		0		13		9.917		-0.056		76.725		Yes		8/29/25 11:49		RTK		29		1.11		0.6		0.94		10910		-1339		Yes		RTK		3D		2.4		696		1.512		1.388		0.709		4.105				WME		Water Meter

		UP3918		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3918		8/29/25 11:49		3728'51.2812"N		797'4.4404"W		1.681		625446.664		0		UNKNOWN		7		32768		CLASSIC		OMNI PEAK		140		100		100		4		9		10.552		1.429		-17.401		Yes		8/29/25 11:49		RTK		29		1.06		0.58		0.88		10911		-1339		Yes		RTK		3D		1		696		1.157		0.948		0.591		2.992				WME		Water Meter

		UP3919		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3919		8/29/25 13:05		3728'48.2992"N		797'7.3360"W		381.916		625828.58		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		5.894		100		-25		8		13.171		0.536		9.439		Yes		8/29/25 13:05		RTK		27		1.12		0.59		0.95		10976		-1339		Yes		RTK		3D		1.6		810		0.591		0.472		0.512		1.513				WME		Water Meter

		UP3920		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3920		8/29/25 13:06		3728'47.9128"N		797'7.2685"W		39.583		625868.163		0		UNKNOWN		4986		32768		CLASSIC		OMNI PEAK		140		7.373		100		-55		9		13.535		1.392		39.002		Yes		8/29/25 13:06		RTK		28		1.04		0.55		0.89		11005		-1339		Yes		RTK		3D		1		810		0.591		0.512		0.512		1.563				WME		Water Meter

		UP3921		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3921		8/29/25 13:07		3728'47.4222"N		797'7.1613"W		50.507		625918.671		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.846		100		19		7		14.038		0.713		5.127		Yes		8/29/25 13:07		RTK		28		1.04		0.55		0.89		11022		-1339		Yes		RTK		3D		1		810		0.948		0.672		0.63		2.323				WME		Water Meter

		UP3922		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3922		8/29/25 13:08		3728'47.0007"N		797'7.2263"W		43.084		625961.754		0		UNKNOWN		74		32768		CLASSIC		OMNI PEAK		140		13.712		100		33		11		17.177		-0.236		-7.809		Yes		8/29/25 13:08		RTK		30		1.05		0.55		0.89		11035		-1339		Yes		RTK		3D		1.4		810		0.433		0.394		0.394		1.171				WME		Water Meter

		UP3923		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3923		8/29/25 13:10		3728'49.7361"N		797'7.5584"W		278.796		626240.55		0		UNKNOWN		38		32768		CLASSIC		OMNI PEAK		140		60.247		100		-10		11		11.731		0.233		-89.639		Yes		8/29/25 13:10		RTK		31		1.05		0.55		0.9		10979		-1339		Yes		RTK		3D		1.6		810		0.591		0.512		0.512		1.563				WME		Water Meter

		UP3924		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3924		8/29/25 13:14		3728'45.6051"N		797'7.7037"W		419.26		626659.81		0		UNKNOWN		54		32768		CLASSIC		OMNI PEAK		140		30.268		100		7		6		12.316		2.884		-89.166		Yes		8/29/25 13:14		RTK		31		1.05		0.55		0.89		11105		-1339		Yes		RTK		3D		1.2		810		1.157		0.759		0.787		2.768				WME		Water Meter

		UP3925		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3925		8/29/25 13:15		3728'45.3708"N		797'9.9675"W		183.798		626843.608		0		UNKNOWN		23		32768		CLASSIC		OMNI PEAK		140		56.803		100		-6		8		15.578		-0.663		-11.099		Yes		8/29/25 13:15		RTK		31		1.05		0.55		0.89		11120		-1339		Yes		RTK		3D		0.8		810		0.948		0.472		0.512		2.118				WME		Water Meter

		UP3926		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3926		8/29/25 13:17		3728'45.1300"N		797'12.6331"W		215.987		627059.594		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.656		100		468		9		13.511		0.971		53.788		Yes		8/29/25 13:17		RTK		31		1.05		0.55		0.9		11082		-1339		Yes		RTK		3D		0.8		810		0.512		0.472		0.551		1.393				WME		Water Meter

		UP3927		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3927		8/29/25 13:19		3728'44.9886"N		797'13.9966"W		110.709		627170.304		0		UNKNOWN		13		32768		CLASSIC		OMNI PEAK		140		100		100		1		11		17.388		-2.866		-63.4		Yes		8/29/25 13:19		RTK		31		1.05		0.55		0.9		11097		-1339		Yes		RTK		3D		1.6		810		0.591		0.551		0.591		1.616				WME		Water Meter

		UP3928		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3928		8/29/25 13:20		3728'44.8970"N		797'15.4706"W		119.03		627289.334		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		93.881		100		0		13		12.901		1.781		-20.964		Yes		8/29/25 13:20		RTK		31		1.14		0.57		0.98		11058		-1339		Yes		RTK		3D		1.2		810		0.472		0.433		0.512		1.282				WME		Water Meter

		UP3929		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3929		8/29/25 13:22		3728'44.7964"N		797'16.5915"W		90.818		627380.151		0		UNKNOWN		50		32768		CLASSIC		OMNI PEAK		140		100		100		3		7		12.69		-2.014		65.099		Yes		8/29/25 13:22		RTK		31		1.06		0.55		0.9		10978		-1339		Yes		RTK		3D		1.6		810		0.472		0.386		0.433		1.22				WME		Water Meter

		UP3930		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3930		8/29/25 13:24		3728'44.6169"N		797'18.9962"W		194.455		627574.607		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		2		7		13.315		-1.678		-5.221		Yes		8/29/25 13:24		FLOAT RTK		30		1.06		0.55		0.9		10839		-1339		Yes		FLOAT RTK		3D		1.4		810		5.522		3.865		1.181		13.48				WME		Water Meter

		UP3931		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3931		8/29/25 13:24		3728'44.1194"N		797'19.9787"W		93.833		627668.44		0		UNKNOWN		2212		32768		CLASSIC		OMNI PEAK		140		26.244		100		22		10		11.063		0.155		-84.368		Yes		8/29/25 13:25		RTK		31		1.14		0.57		0.99		10785		-1339		Yes		RTK		3D		0.8		810		1.27		1.05		0.866		3.296				WME		Water Meter

		UP3932		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3932		8/29/25 13:27		3728'44.3633"N		797'21.7540"W		145.054		627813.494		0		UNKNOWN		1		32768		CLASSIC		OMNI PEAK		140		100		100		0		10		12.988		-2.73		-22.739		Yes		8/29/25 13:27		RTK		31		1.16		0.59		1		10712		-1339		Yes		RTK		3D		0.6		810		1.388		0.759		0.827		3.164				WME		Water Meter

		UP3933		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3933		8/29/25 13:27		3728'44.3405"N		797'22.5725"W		65.936		627879.43		0		UNKNOWN		21		32768		CLASSIC		OMNI PEAK		140		100		100		-1		11		12.073		-4.195		-54.736		Yes		8/29/25 13:27		RTK		31		1.16		0.59		1		10664		-1339		Yes		RTK		3D		0.8		810		0.85		0.512		0.63		1.985				WME		Water Meter

		UP3934		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3934		8/29/25 13:28		3728'44.2524"N		797'23.2026"W		51.513		627930.943		0		UNKNOWN		29		32768		CLASSIC		OMNI PEAK		140		100		100		1		9		7.44		-1.193		-4.929		Yes		8/29/25 13:28		RTK		30		1.16		0.59		1		10630		-1339		Yes		RTK		3D		1.4		810		2.058		0.85		0.827		4.453				WME		Water Meter

		UP3935		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3935		8/29/25 13:29		3728'43.5656"N		797'23.9356"W		91.312		628022.254		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		11.343		100		-3		11		10.506		2.164		-13.313		Yes		8/29/25 13:29		RTK		30		1.16		0.59		1		10558		-1339		Yes		RTK		3D		1.6		810		0.948		0.591		0.63		2.233				WME		Water Meter

		UP3936		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3936		8/29/25 13:30		3728'43.9516"N		797'22.6315"W		112.055		628134.31		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		2		10		17.138		2.169		16.327		Yes		8/29/25 13:30		RTK		30		1.16		0.59		1		10666		-1339		Yes		RTK		3D		1.4		810		0.948		0.551		0.669		2.192				WME		Water Meter

		UP3937		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3937		8/29/25 13:30		3728'43.9511"N		797'22.6780"W		3.741		628138.051		0		UNKNOWN		5		32768		CLASSIC		OMNI PEAK		140		100		100		-11		7		16.069		1.04		-32.513		Yes		8/29/25 13:30		RTK		30		1.16		0.59		1		10666		-1339		Yes		RTK		3D		2		810		0.759		0.512		0.63		1.83				WME		Water Meter

		UP3938		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3938		8/29/25 13:48		3728'44.3412"N		797'17.8965"W		386.983		628525.034		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		58.616		100		0		12		12.075		-6.117		-39.494		Yes		8/29/25 13:48		RTK		30		1.31		0.61		1.16		10875		-1339		Yes		RTK		3D		1.4		810		0.551		0.433		0.551		1.402				WME		Water Meter

		UP3939		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3939		8/29/25 13:48		3728'44.3815"N		797'17.4227"W		38.358		628563.392		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		-1		11		11.16		2.684		-77.601		Yes		8/29/25 13:48		RTK		29		1.52		0.67		1.37		10908		-1339		Yes		RTK		3D		1		810		0.85		0.591		0.787		2.071				WME		Water Meter

		UP3940		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3940		8/29/25 13:50		3728'44.5320"N		797'15.6168"W		146.196		628709.587		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		63.996		100		0		10		18.923		0.678		29.688		Yes		8/29/25 13:51		RTK		31		1.18		0.58		1.03		11034		-1339		Yes		RTK		3D		1		810		0.759		0.512		0.63		1.83				WME		Water Meter

		UP3941		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3941		8/29/25 13:54		3728'44.6706"N		797'14.2211"W		113.237		628822.825		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		10.27		100		6		10		17.498		-3.526		-46.397		Yes		8/29/25 13:54		RTK		32		1.17		0.58		1.02		11086		-1339		Yes		RTK		3D		1.2		810		0.85		0.512		0.551		1.985				WME		Water Meter

		UP3942		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3942		8/29/25 13:56		3728'44.9854"N		797'10.5056"W		300.831		629123.656		0		UNKNOWN		182		32768		CLASSIC		OMNI PEAK		140		31.301		100		2		10		14.646		2.2		72.381		Yes		8/29/25 13:56		RTK		32		1.29		0.62		1.13		11123		-1339		Yes		RTK		3D		1.4		810		1.27		0.948		0.945		3.17				WME		Water Meter

		UP3943		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3943		8/29/25 13:56		3728'44.9884"N		797'10.4809"W		2.014		629125.67		0		UNKNOWN		6		32768		CLASSIC		OMNI PEAK		140		100		100		0		9		19.73		0.108		-45.9		Yes		8/29/25 13:56		RTK		32		1.29		0.62		1.13		11123		-1339		Yes		RTK		3D		1.8		810		1.27		0.672		0.866		2.874				WME		Water Meter

		UP3944		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3944		8/29/25 13:59		3728'42.4059"N		797'6.2372"W		430.543		629556.213		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		27.894		100		-2		7		15.001		-2.231		-81.498		Yes		8/29/25 13:59		RTK		31		1.09		0.56		0.93		11178		-1339		Yes		RTK		3D		1.4		810		1.27		0.759		0.787		2.959				WME		Water Meter

		UP3945		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3945		8/29/25 14:00		3728'41.9621"N		797'6.1159"W		46.07		629602.283		0		UNKNOWN		27		32768		CLASSIC		OMNI PEAK		140		100		100		-3		11		16.503		-2.692		-81.271		Yes		8/29/25 14:00		RTK		31		1.1		0.57		0.94		11173		-1339		Yes		RTK		3D		0.8		810		1.27		0.591		0.748		2.802				WME		Water Meter

		UP3946		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3946		8/29/25 14:03		3728'33.5156"N		797'7.1068"W		860.613		630462.895		0		UNKNOWN		7		32768		CLASSIC		OMNI PEAK		140		100		100		1		10		16.623		-3.334		28.186		Yes		8/29/25 14:03		RTK		32		1.16		0.58		1.01		11170		-1339		Yes		RTK		3D		0.6		810		0.672		0.433		0.472		1.599				WME		Water Meter

		UP3947		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3947		8/29/25 14:05		3728'31.9237"N		797'9.1930"W		233.006		630695.902		0		UNKNOWN		28		32768		CLASSIC		OMNI PEAK		140		100		100		-8		12		14.504		-2.409		-89.506		Yes		8/29/25 14:05		RTK		32		1.05		0.52		0.91		11133		-1339		Yes		RTK		3D		0.6		810		0.512		0.374		0.433		1.268				WME		Water Meter

		UP3948		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3948		8/29/25 14:07		3728'31.6040"N		797'10.9809"W		147.559		630843.46		0		UNKNOWN		1		32768		CLASSIC		OMNI PEAK		140		100		100		2		8		15.416		-2.408		59.688		Yes		8/29/25 14:07		RTK		32		1.22		0.58		1.07		11181		-1339		Yes		RTK		3D		1.2		810		0.551		0.433		0.591		1.402				WME		Water Meter

		UP3949		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3949		8/29/25 14:09		3728'31.3204"N		797'14.5913"W		292.105		631135.565		0		UNKNOWN		43		32768		CLASSIC		OMNI PEAK		140		100		100		-84		10		16.604		0.847		-3.134		Yes		8/29/25 14:09		RTK		32		1.07		0.54		0.92		11128		-1339		Yes		RTK		3D		0.4		810		0.591		0.37		0.472		1.394				WME		Water Meter

		UP3950		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3950		8/29/25 14:09		3728'31.3050"N		797'15.0995"W		40.946		631176.511		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		7.956		100		-48		5		15.064		1.754		32.944		Yes		8/29/25 14:09		RTK		32		1.06		0.52		0.92		11107		-1339		Yes		RTK		3D		1.6		810		2.058		0.759		0.748		4.386				WME		Water Meter

		UP3951		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3951		8/29/25 14:10		3728'31.2349"N		797'16.3762"W		103.037		631279.548		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		39.075		100		2		10		12.377		-1.587		14.284		Yes		8/29/25 14:10		FLOAT RTK		32		1.06		0.52		0.92		11035		-1339		Yes		FLOAT RTK		3D		0.8		810		4.785		2.761		0.63		11.049				WME		Water Meter

		UP3952		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3952		8/29/25 14:10		3728'31.1575"N		797'17.2896"W		73.955		631353.504		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		3.334		100		-3		12		12.306		-2.217		-14.005		Yes		8/29/25 14:10		RTK		32		1.06		0.52		0.92		10979		-1339		Yes		RTK		3D		1.2		810		0.551		0.394		0.472		1.355				WME		Water Meter

		UP3953		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3953		8/29/25 14:11		3728'31.0758"N		797'18.3357"W		84.63		631438.134		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		41.867		100		0		12		11.537		-3.973		88.757		Yes		8/29/25 14:11		RTK		32		0.99		0.5		0.86		10944		-1339		Yes		RTK		3D		1.6		810		1.512		0.948		0.787		3.568				WME		Water Meter

		UP3954		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3954		8/29/25 14:11		3728'30.9980"N		797'20.1615"W		147.213		631585.347		0		UNKNOWN		11		32768		CLASSIC		OMNI PEAK		140		100		100		-10		8		10.879		0.316		29.639		Yes		8/29/25 14:11		RTK		32		0.99		0.5		0.86		10908		-1339		Yes		RTK		3D		0.6		810		0.948		0.472		0.551		2.118				WME		Water Meter

		UP3955		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3955		8/29/25 14:12		3728'30.8817"N		797'22.0120"W		149.453		631734.8		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		29.285		100		-29		5		9.924		-0.019		-30.774		Yes		8/29/25 14:12		RTK		32		1		0.5		0.86		10882		-1339		Yes		RTK		3D		0.8		810		0.759		0.551		0.63		1.875				WME		Water Meter

		UP3956		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3956		8/29/25 14:13		3728'30.6897"N		797'24.4412"W		196.552		631931.352		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		100		100		0		11		17.131		-3.886		-64.806		Yes		8/29/25 14:13		RTK		32		1.06		0.52		0.92		10838		-1339		Yes		RTK		3D		1		810		0.591		0.433		0.472		1.465				WME		Water Meter

		UP3957		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3957		8/29/25 14:14		3728'30.5212"N		797'26.6112"W		175.547		632106.899		0		UNKNOWN		16		32768		CLASSIC		OMNI PEAK		140		95.252		100		8		10		10.446		-2.111		15.777		Yes		8/29/25 14:14		RTK		32		1.11		0.54		0.97		10931		-1339		Yes		RTK		3D		1.4		810		0.512		0.358		0.394		1.249				WME		Water Meter

		UP3958		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3958		8/29/25 14:15		3728'30.2459"N		797'25.7919"W		71.637		632178.536		0		UNKNOWN		2		32768		CLASSIC		OMNI PEAK		140		100		100		-4		9		13.186		-1.973		-47.415		Yes		8/29/25 14:15		RTK		32		1.01		0.5		0.88		10876		-1339		Yes		RTK		3D		1		810		0.394		0.354		0.394		1.059				WME		Water Meter

		UP3959		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3959		8/29/25 14:15		3728'30.3154"N		797'24.2372"W		125.367		632303.903		0		UNKNOWN		40		32768		CLASSIC		OMNI PEAK		140		79.922		100		1		8		12.55		2.104		45.829		Yes		8/29/25 14:15		RTK		32		1		0.5		0.87		10804		-1339		Yes		RTK		3D		1.2		810		1.157		0.85		0.787		2.873				WME		Water Meter

		UP3960		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3960		8/29/25 14:18		3728'32.8716"N		797'26.9726"W		340.23		632644.133		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		100		100		-10		8		15.764		-2.362		12.641		Yes		8/29/25 14:18		RTK		32		1.07		0.52		0.93		10963		-1339		Yes		RTK		3D		1.8		810		0.551		0.433		0.472		1.402				WME		Water Meter

		UP3961		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3961		8/29/25 14:19		3728'34.4452"N		797'27.2173"W		160.847		632804.98		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		100		100		-1		11		14.381		1.519		-43.473		Yes		8/29/25 14:19		FLOAT RTK		32		1.04		0.5		0.91		11060		-1339		Yes		FLOAT RTK		3D		1.4		810		3.129		2.393		0.512		7.878				WME		Water Meter

		UP3962		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3962		8/29/25 14:20		3728'34.6639"N		797'28.5895"W		112.689		632917.669		0		UNKNOWN		274		32768		CLASSIC		OMNI PEAK		140		29.888		100		-1		8		13.459		-6.884		57.017		Yes		8/29/25 14:20		RTK		32		1.12		0.53		0.99		11045		-1339		Yes		RTK		3D		1.6		810		0.759		0.433		0.512		1.747				WME		Water Meter

		UP3963		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3963		8/29/25 14:23		3728'34.7297"N		797'29.1093"W		42.373		632960.042		0		UNKNOWN		235		32768		CLASSIC		OMNI PEAK		140		54.556		100		1		12		11.732		2.903		25.732		Yes		8/29/25 14:23		RTK		32		1.11		0.54		0.97		11011		-1339		Yes		RTK		3D		1.8		810		1.512		0.551		0.591		3.218				WME		Water Meter

		UP3964		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3964		8/29/25 14:24		3728'34.8301"N		797'30.2347"W		91.181		633051.224		0		UNKNOWN		18		32768		CLASSIC		OMNI PEAK		140		74.455		100		0		11		17.249		-0.062		-84.254		Yes		8/29/25 14:24		RTK		32		1.08		0.52		0.95		10935		-1339		Yes		RTK		3D		0.8		810		1.774		0.672		0.866		3.794				WME		Water Meter

		UP3965		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3965		8/29/25 14:25		3728'34.9870"N		797'31.7610"W		123.913		633175.137		0		UNKNOWN		112		32768		CLASSIC		OMNI PEAK		140		22.681		100		-7		6		10.912		1.009		38.113		Yes		8/29/25 14:25		RTK		32		1.12		0.54		0.98		10800		-1339		Yes		RTK		3D		2		810		1.27		0.512		0.551		2.739				WME		Water Meter

		UP3966		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3966		8/29/25 14:26		3728'35.1405"N		797'32.5177"W		62.879		633238.015		0		UNKNOWN		33		32768		CLASSIC		OMNI PEAK		140		94.496		100		15		10		15.66		-2.221		6.203		Yes		8/29/25 14:26		RTK		31		1.16		0.56		1.02		10725		-1339		Yes		RTK		3D		0.8		810		0.551		0.335		0.394		1.29				WME		Water Meter

		UP3967		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3967		8/29/25 14:26		3728'35.1902"N		797'33.5392"W		82.401		633320.417		0		UNKNOWN		18		32768		CLASSIC		OMNI PEAK		140		89.077		100		1		9		11.701		-5.46		21.497		Yes		8/29/25 14:26		RTK		31		1.14		0.54		1		10639		-1339		Yes		RTK		3D		1.6		810		1.512		0.85		0.709		3.469				WME		Water Meter

		UP3968		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3968		8/29/25 14:27		3728'35.4564"N		797'35.0035"W		120.942		633441.358		0		UNKNOWN		9		32768		CLASSIC		OMNI PEAK		140		100		100		0		12		10.598		-2.751		86.04		Yes		8/29/25 14:27		RTK		32		1.14		0.54		1.01		10532		-1339		Yes		RTK		3D		1.2		810		1.05		0.472		0.551		2.303				WME		Water Meter

		UP3969		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3969		8/29/25 14:28		3728'35.6732"N		797'36.0962"W		90.682		633532.04		0		UNKNOWN		4		32768		CLASSIC		OMNI PEAK		140		100		100		9		8		11.136		-4.4		-51.691		Yes		8/29/25 14:28		RTK		32		1.04		0.51		0.91		10447		-1339		Yes		RTK		3D		1.4		810		1.157		0.433		0.433		2.472				WME		Water Meter

		UP3970		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3970		8/29/25 14:37		3728'37.9691"N		797'36.8421"W		240.539		633772.579		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		3.299		100		0		8		13.886		2.615		-19.946		Yes		8/29/25 14:37		RTK		32		1.03		0.5		0.9		10476		-1339		Yes		RTK		3D		0.6		810		1.157		0.672		0.63		2.677				WME		Water Meter

		UP3971		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3971		8/29/25 14:39		3728'38.7662"N		797'34.2508"W		223.748		633996.327		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		43.249		100		5		10		14.98		-0.584		79.49		Yes		8/29/25 14:39		RTK		32		1.06		0.53		0.92		10458		-1339		Yes		RTK		3D		1.4		810		0.551		0.343		0.394		1.298				WME		Water Meter

		UP3972		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3972		8/29/25 14:46		3728'38.5574"N		797'29.6238"W		373.121		634369.448		0		UNKNOWN		37		32768		CLASSIC		OMNI PEAK		140		100		100		-18		5		27.608		1.378		-2.089		Yes		8/29/25 14:46		RTK		32		0.98		0.49		0.84		10412		-1339		Yes		RTK		3D		1.6		810		0.591		0.39		0.433		1.415				WME		Water Meter

		UP3973		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3973		8/29/25 14:46		3728'39.1123"N		797'31.1389"W		134.351		634503.799		0		UNKNOWN		30		32768		CLASSIC		OMNI PEAK		140		54.5		100		14		7		14.618		-4.19		-3.238		Yes		8/29/25 14:47		RTK		32		1.1		0.54		0.95		10377		-1339		Yes		RTK		3D		1.4		810		0.433		0.319		0.394		1.076				WME		Water Meter

		UP3974		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3974		8/29/25 14:47		3728'38.2560"N		797'30.4717"W		102.139		634605.938		0		UNKNOWN		49		32768		CLASSIC		OMNI PEAK		140		91.92		100		2		11		15.754		0.288		49.692		Yes		8/29/25 14:47		FLOAT RTK		32		1		0.5		0.86		10448		-1339		Yes		FLOAT RTK		3D		0.8		810		1.804		1.288		0.394		4.433				WME		Water Meter

		UP3975		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3975		8/29/25 14:47		3728'38.2596"N		797'30.4158"W		4.517		634610.454		0		UNKNOWN		11		32768		CLASSIC		OMNI PEAK		140		100		100		-4		9		15.629		-3.1		34.443		Yes		8/29/25 14:47		FLOAT RTK		32		1.08		0.55		0.93		10447		-1339		Yes		FLOAT RTK		3D		1.4		810		3.681		2.577		0.591		8.987				WME		Water Meter

		UP3976		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3976		8/29/25 14:50		3728'39.9300"N		797'36.8060"W		541.663		635152.117		0		UNKNOWN		47		32768		CLASSIC		OMNI PEAK		140		82.368		100		5		8		10.534		-7.692		-1.629		Yes		8/29/25 14:50		RTK		32		1.01		0.5		0.87		10362		-1339		Yes		RTK		3D		1.6		810		0.948		0.591		0.591		2.233				WME		Water Meter

		UP3977		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3977		8/29/25 14:52		3728'41.5794"N		797'35.1563"W		213.637		635365.754		0		UNKNOWN		12		32768		CLASSIC		OMNI PEAK		140		100		100		1		7		8.584		-2.929		25.072		Yes		8/29/25 14:52		RTK		31		1.07		0.55		0.91		10050		-1339		Yes		RTK		3D		1.2		810		0.433		0.346		0.394		1.109				WME		Water Meter

		UP3978		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3978		8/29/25 14:53		3728'41.7926"N		797'33.2580"W		154.354		635520.109		0		UNKNOWN		219		32768		CLASSIC		OMNI PEAK		140		42.254		100		-2		9		12.069		-1.066		-89.902		Yes		8/29/25 14:53		RTK		30		1.12		0.55		0.97		9906		-1339		Yes		RTK		3D		1.2		810		1.774		1.27		0.827		4.364				WME		Water Meter

		UP3979		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3979		8/30/25 14:49		3728'23.9968"N		799'35.9077"W		0		635520.109		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		9.738		100		-90		11		13.24		-1.466		37.748		Yes		8/30/25 14:49		RTK		16		1.65		0.84		1.42		8321		-1338		Yes		RTK		3D		1.4		1188		1.64		0.85		0.787		3.695				WME		Water Meter

		UP3980		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3980		8/30/25 14:50		3728'23.4053"N		799'35.7966"W		60.667		635580.776		0		UNKNOWN		610		32768		CLASSIC		OMNI PEAK		140		12.849		100		-30		9		12.418		-1.216		-24.856		Yes		8/30/25 14:50		RTK		19		1.41		0.72		1.21		8307		-1338		Yes		RTK		3D		1.4		1188		2.522		0.948		1.024		5.389				WME		Water Meter

		UP3981		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3981		8/30/25 14:51		3728'23.1429"N		799'34.2931"W		123.952		635704.728		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		2.252		100		-8		8		10.578		-2.334		-51.458		Yes		8/30/25 14:51		RTK		22		1.24		0.65		1.06		8384		-1338		Yes		RTK		3D		1		1188		0.591		0.433		0.472		1.465				WME		Water Meter

		UP3982		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3982		8/30/25 14:52		3728'22.8001"N		799'31.6935"W		212.172		635916.9		0		UNKNOWN		28		32768		CLASSIC		OMNI PEAK		140		35.67		100		16		12		11.304		-4.498		29.786		Yes		8/30/25 14:52		RTK		26		1.2		0.61		1.03		8510		-1338		Yes		RTK		3D		1.2		1188		1.64		0.591		0.63		3.487				WME		Water Meter

		UP3983		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3983		8/30/25 14:53		3728'22.7937"N		799'30.7588"W		75.26		635992.16		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.273		100		-27		8		12.581		1.977		65.971		Yes		8/30/25 14:53		RTK		30		1.09		0.55		0.94		8557		-1338		Yes		RTK		3D		1		1188		0.551		0.394		0.394		1.355				WME		Water Meter

		UP3984		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3984		8/30/25 14:54		3728'24.5065"N		799'27.4981"W		314.835		636306.995		0		UNKNOWN		39		32768		CLASSIC		OMNI PEAK		140		79.709		100		-19		5		10.731		0.01		-32.951		Yes		8/30/25 14:54		RTK		31		1.09		0.55		0.94		8585		-1338		Yes		RTK		3D		1.2		1188		0.386		0.323		0.394		1.006				WME		Water Meter

		UP3985		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3985		8/30/25 14:55		3728'26.2692"N		799'26.4331"W		198.318		636505.313		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.07		100		5		11		8.496		-1.259		56.474		Yes		8/30/25 14:55		RTK		31		1.09		0.55		0.94		8671		-1338		Yes		RTK		3D		1.2		1188		0.85		0.759		0.551		2.279				WME		Water Meter

		UP3986		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3986		8/30/25 14:55		3728'28.1610"N		799'26.7242"W		193.36		636698.673		0		UNKNOWN		697		32768		CLASSIC		OMNI PEAK		140		7.791		100		-37		3		9.267		-2.187		21.27		Yes		8/30/25 14:55		RTK		31		1.09		0.55		0.94		8731		-1338		Yes		RTK		3D		1.6		1188		0.591		0.378		0.394		1.402				WME		Water Meter

		UP3987		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3987		8/30/25 14:56		3728'29.3212"N		799'27.5106"W		133.649		636832.322		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.016		100		-50		8		12.28		0.403		24.718		Yes		8/30/25 14:56		RTK		32		1.11		0.58		0.94		8761		-1338		Yes		RTK		3D		1.6		1188		0.512		0.319		0.394		1.206				WME		Water Meter

		UP3988		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3988		8/30/25 14:57		3728'30.3083"N		799'28.9082"W		150.632		636982.953		0		UNKNOWN		338		32768		CLASSIC		OMNI PEAK		140		6.537		100		-139		8		13.872		1.25		-72.715		Yes		8/30/25 14:57		RTK		32		1.05		0.54		0.9		8750		-1338		Yes		RTK		3D		1		1188		0.472		0.311		0.394		1.131				WME		Water Meter

		UP3989		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3989		8/30/25 14:58		3728'32.6733"N		799'29.9068"W		253.046		637236		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.327		100		9		13		12.674		-0.802		7.857		Yes		8/30/25 14:58		RTK		32		1.05		0.54		0.9		8747		-1338		Yes		RTK		3D		0.6		1188		0.948		0.433		0.394		2.084				WME		Water Meter

		UP3990		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3990		8/30/25 14:59		3728'34.1521"N		799'29.9659"W		150.101		637386.101		0		UNKNOWN		25		32768		CLASSIC		OMNI PEAK		140		80.81		100		4		9		14.247		-0.924		-32.579		Yes		8/30/25 14:59		RTK		32		1.05		0.53		0.91		8684		-1338		Yes		RTK		3D		0.8		1188		0.472		0.472		0.394		1.336				WME		Water Meter

		UP3991		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3991		8/30/25 14:59		3728'35.6925"N		799'30.2396"W		157.821		637543.922		0		UNKNOWN		290		32768		CLASSIC		OMNI PEAK		140		55.312		100		-80		3		14.419		0.369		-10.1		Yes		8/30/25 14:59		RTK		32		1.05		0.52		0.91		8679		-1338		Yes		RTK		3D		1		1188		0.551		0.394		0.394		1.355				WME		Water Meter

		UP3992		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3992		8/30/25 15:00		3728'35.4851"N		799'30.9593"W		61.648		637605.569		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		3.091		100		-24		6		11.633		-1.834		5.437		Yes		8/30/25 15:00		RTK		32		1.04		0.53		0.89		8663		-1338		Yes		RTK		3D		1		1188		0.591		0.433		0.394		1.465				WME		Water Meter

		UP3993		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3993		8/30/25 15:02		3728'32.1499"N		799'30.7345"W		338.838		637944.408		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		2.014		100		-61		4		7.715		-0.329		-1.79		Yes		8/30/25 15:02		RTK		32		0.99		0.49		0.85		8689		-1338		Yes		RTK		3D		1		1188		0.551		0.394		0.394		1.355				WME		Water Meter

		UP3994		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3994		8/30/25 15:03		3728'29.8587"N		799'29.1987"W		263.283		638207.69		0		UNKNOWN		47		32768		CLASSIC		OMNI PEAK		140		29.11		100		-11		11		8.525		2.172		-15.505		Yes		8/30/25 15:03		RTK		32		1.02		0.53		0.87		8741		-1338		Yes		RTK		3D		1.4		1188		1.388		0.759		0.63		3.164				WME		Water Meter

		UP3995		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3995		8/30/25 15:04		3728'28.5476"N		799'27.6770"W		180.843		638388.534		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		4.705		100		-94		8		10.861		-1.09		36.32		Yes		8/30/25 15:04		RTK		32		0.97		0.48		0.84		8725		-1338		Yes		RTK		3D		1		1188		0.472		0.354		0.394		1.181				WME		Water Meter

		UP3996		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3996		8/30/25 15:05		3728'25.4757"N		799'27.5147"W		311.914		638700.448		0		UNKNOWN		80		32768		CLASSIC		OMNI PEAK		140		72.412		100		-28		2		7.838		1.579		2.397		Yes		8/30/25 15:05		RTK		32		0.98		0.49		0.85		8611		-1338		Yes		RTK		3D		0.8		1188		0.591		0.433		0.394		1.465				WME		Water Meter

		UP3997		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3997		8/30/25 15:07		3728'23.3388"N		799'31.8577"W		411.423		639111.871		0		UNKNOWN		72		32768		CLASSIC		OMNI PEAK		140		4.075		100		126		10		9.515		0.164		-9.23		Yes		8/30/25 15:07		RTK		32		1.07		0.52		0.93		8510		-1338		Yes		RTK		3D		1		1188		0.85		0.551		0.512		2.027				WME		Water Meter

		UP3998		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3998		8/30/25 15:11		3728'39.7179"N		799'32.5838"W		1662.697		640774.568		0		UNKNOWN		48		32768		CLASSIC		OMNI PEAK		140		100		100		7		12		8.754		2.45		-14.518		Yes		8/30/25 15:11		RTK		32		0.97		0.48		0.84		8915		-1338		Yes		RTK		3D		1		1188		0.85		0.551		0.512		2.027				WME		Water Meter

		UP3999		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		3999		8/30/25 15:16		3728'42.7934"N		799'33.1068"W		314.835		641089.403		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.473		100		69		12		8.248		-0.98		-88.917		Yes		8/30/25 15:16		RTK		32		0.96		0.48		0.83		9201		-1338		Yes		RTK		3D		0.6		1188		1.64		0.759		0.669		3.615				WME		Water Meter

		UP4000		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4000		8/30/25 15:18		3728'39.1776"N		799'36.6628"W		465.323		641554.726		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		46.458		100		-13		10		13.292		-0.432		17.231		Yes		8/30/25 15:18		RTK		31		1.01		0.49		0.89		9053		-1338		Yes		RTK		3D		0.6		1188		1.64		0.948		0.63		3.789				WME		Water Meter

		UP4001		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4001		8/30/25 15:20		3728'35.6406"N		799'41.5057"W		529.892		642084.619		0		UNKNOWN		42		32768		CLASSIC		OMNI PEAK		140		100		100		-2		10		15.803		-1.572		82.076		Yes		8/30/25 15:20		RTK		31		1.05		0.5		0.93		8865		-1338		Yes		RTK		3D		0.8		1188		1.05		0.551		0.551		2.372				WME		Water Meter

		UP4002		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4002		8/30/25 15:21		3728'32.8981"N		799'43.7535"W		331.904		642416.523		0		UNKNOWN		16		32768		CLASSIC		OMNI PEAK		140		92.639		100		0		12		10.897		-1.377		76.696		Yes		8/30/25 15:21		RTK		31		1.08		0.52		0.94		8738		-1338		Yes		RTK		3D		1		1188		0.948		0.433		0.433		2.084				WME		Water Meter

		UP4003		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4003		8/30/25 15:23		3728'30.8415"N		799'44.9542"W		229.953		642646.476		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		38.68		100		19		5		19.401		-3.461		-44.806		Yes		8/30/25 15:23		RTK		32		1.06		0.51		0.92		8503		-1338		Yes		RTK		3D		0.4		1188		1.27		0.551		0.669		2.77				WME		Water Meter

		UP4004		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4004		8/30/25 15:23		3728'29.7868"N		799'45.9943"W		135.873		642782.349		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		36.452		100		9		4		11.305		-1.738		-53.955		Yes		8/30/25 15:24		RTK		32		1.05		0.5		0.92		8368		-1338		Yes		RTK		3D		1.6		1188		0.591		0.433		0.394		1.465				WME		Water Meter

		UP4005		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4005		8/30/25 15:24		3728'29.3689"N		799'45.2337"W		74.482		642856.831		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		51.998		100		4		9		12.658		0.472		55.086		Yes		8/30/25 15:24		RTK		31		1.05		0.51		0.92		8377		-1338		Yes		RTK		3D		1.2		1188		1.512		0.85		0.591		3.469				WME		Water Meter

		UP4006		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4006		8/30/25 15:24		3728'29.3738"N		799'45.2736"W		3.247		642860.078		0		UNKNOWN		9		32768		CLASSIC		OMNI PEAK		140		100		100		10		7		13.657		-3.757		-23.7		Yes		8/30/25 15:24		RTK		30		1.05		0.5		0.92		8378		-1338		Yes		RTK		3D		1		1188		1.157		0.759		0.551		2.768				WME		Water Meter

		UP4007		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4007		8/30/25 15:26		3728'32.4015"N		799'43.2428"W		347.962		643208.04		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		100		100		1		9		31.322		1.63		-31.07		Yes		8/30/25 15:26		RTK		32		1.08		0.52		0.95		8722		-1338		Yes		RTK		3D		0.6		1188		0.759		0.512		0.472		1.83				WME		Water Meter

		UP4008		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4008		8/30/25 15:28		3728'36.5368"N		799'38.8946"W		546.41		643754.451		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		78.408		100		1		9		32.048		0.759		-47.835		Yes		8/30/25 15:28		RTK		32		1.04		0.5		0.91		8944		-1338		Yes		RTK		3D		1.6		1188		0.472		0.358		0.394		1.186				WME		Water Meter

		UP4009		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4009		8/30/25 16:45		3729'31.1698"N		794'1.2154"W		0		643754.451		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		7.392		100		10		8		14.416		0.485		-85.298		Yes		8/30/25 16:45		RTK		29		1.09		0.6		0.91		9682		-1340		Yes		RTK		3D		1		1218		0.551		0.472		0.472		1.452				WME		Water Meter

		UP4010		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4010		8/30/25 16:46		3729'31.1657"N		794'0.6901"W		42.287		643796.738		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.132		100		70		11		12.632		-1.525		24.349		Yes		8/30/25 16:46		RTK		29		1.06		0.6		0.88		9669		-1340		Yes		RTK		3D		0.6		1218		1.157		0.759		0.63		2.768				WME		Water Meter

		UP4011		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4011		8/30/25 16:48		3729'31.8129"N		794'0.1634"W		78.154		643874.892		0		UNKNOWN		45		32768		CLASSIC		OMNI PEAK		140		94.764		100		18		8		10.942		0.112		17.822		Yes		8/30/25 16:48		RTK		30		1.08		0.6		0.9		9665		-1340		Yes		RTK		3D		0.4		1218		0.551		0.37		0.433		1.328				WME		Water Meter

		UP4012		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4012		8/30/25 16:49		3729'32.3667"N		794'1.4661"W		118.959		643993.851		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		4.477		100		107		3		14.737		3.426		79.497		Yes		8/30/25 16:49		RTK		32		0.93		0.53		0.77		9705		-1340		Yes		RTK		3D		1.2		1218		0.759		0.591		0.472		1.923				WME		Water Meter

		UP4013		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4013		8/30/25 16:51		3729'32.7273"N		794'2.7247"W		107.711		644101.562		0		UNKNOWN		153		32768		CLASSIC		OMNI PEAK		140		4.156		100		-70		6		11.268		2.943		76.987		Yes		8/30/25 16:51		RTK		31		1.03		0.58		0.86		9760		-1340		Yes		RTK		3D		1.2		1218		1.157		0.948		0.709		2.992				WME		Water Meter

		UP4014		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4014		8/30/25 16:55		3729'32.5571"N		794'5.6587"W		236.806		644338.368		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.04		100		63		8		12.872		-1.305		49.439		Yes		8/30/25 16:55		RTK		32		0.98		0.55		0.81		9865		-1340		Yes		RTK		3D		0.4		1218		0.672		0.591		0.472		1.789				WME		Water Meter

		UP4015		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4015		8/30/25 16:57		3729'32.1991"N		794'6.6357"W		86.622		644424.99		0		UNKNOWN		89		32768		CLASSIC		OMNI PEAK		140		50.069		100		1		5		11.119		0.075		45.997		Yes		8/30/25 16:57		RTK		32		0.98		0.55		0.81		9930		-1340		Yes		RTK		3D		0.6		1218		0.759		0.591		0.512		1.923				WME		Water Meter

		UP4016		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4016		8/30/25 16:59		3729'31.4772"N		794'7.8397"W		121.475		644546.465		0		UNKNOWN		16		32768		CLASSIC		OMNI PEAK		140		12.767		100		-1		9		10.139		0.853		-46.623		Yes		8/30/25 16:59		RTK		32		0.97		0.55		0.8		10006		-1340		Yes		RTK		3D		1.2		1218		0.512		0.512		0.394		1.448				WME		Water Meter

		UP4017		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4017		8/30/25 17:01		3729'29.7893"N		794'9.9576"W		241.634		644788.099		0		UNKNOWN		155		32768		CLASSIC		OMNI PEAK		140		22.857		100		-23		6		12.959		-1.383		54.051		Yes		8/30/25 17:01		RTK		32		0.94		0.53		0.77		10091		-1340		Yes		RTK		3D		1.2		1218		0.551		0.512		0.433		1.504				WME		Water Meter

		UP4018		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4018		8/30/25 17:03		3729'29.1878"N		794'10.7181"W		86.433		644874.532		0		UNKNOWN		25		32768		CLASSIC		OMNI PEAK		140		47.216		100		-11		5		10.804		0.703		4.644		Yes		8/30/25 17:03		RTK		32		0.92		0.52		0.75		10129		-1340		Yes		RTK		3D		0.4		1218		0.759		0.472		0.433		1.787				WME		Water Meter

		UP4019		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4019		8/30/25 17:04		3729'28.1937"N		794'11.8865"W		137.902		645012.434		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		1.755		100		7		10		12.653		0.212		51.916		Yes		8/30/25 17:04		RTK		32		0.91		0.52		0.75		10166		-1340		Yes		RTK		3D		1.2		1218		0.472		0.433		0.394		1.282				WME		Water Meter

		UP4020		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4020		8/30/25 17:06		3729'27.3979"N		794'12.5964"W		98.913		645111.347		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.894		100		90		8		10.641		0.038		55.713		Yes		8/30/25 17:06		RTK		32		0.94		0.53		0.77		10164		-1340		Yes		RTK		3D		0.4		1218		0.551		0.472		0.394		1.452				WME		Water Meter

		UP4021		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4021		8/30/25 17:15		3729'26.1643"N		794'13.5506"W		146.841		645258.187		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		2.68		100		377		9		10.081		-1.304		11.051		Yes		8/30/25 17:15		RTK		30		0.99		0.56		0.81		10176		-1340		Yes		RTK		3D		1.2		1218		0.591		0.39		0.394		1.415				WME		Water Meter

		UP4022		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4022		8/30/25 17:16		3729'25.4086"N		794'14.0650"W		87.129		645345.317		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.204		100		-22		10		12.941		1.877		72.717		Yes		8/30/25 17:16		RTK		31		0.99		0.56		0.81		10191		-1340		Yes		RTK		3D		1.2		1218		0.433		0.394		0.394		1.171				WME		Water Meter

		UP4023		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4023		8/30/25 17:17		3729'24.0712"N		794'14.7207"W		145.584		645490.901		0		UNKNOWN		2331		32768		CLASSIC		OMNI PEAK		140		10.592		100		17		7		13.023		-0.837		-55.402		Yes		8/30/25 17:17		RTK		31		0.98		0.56		0.81		10150		-1340		Yes		RTK		3D		0.4		1218		1.388		0.551		0.472		2.988				WME		Water Meter

		UP4024		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4024		8/30/25 17:19		3729'22.7764"N		794'15.2396"W		137.838		645628.739		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		3.22		100		-7		10		11.689		1.702		-67.816		Yes		8/30/25 17:19		RTK		31		0.98		0.56		0.8		10162		-1340		Yes		RTK		3D		0.8		1218		0.433		0.394		0.394		1.171				WME		Water Meter

		UP4025		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4025		8/30/25 17:20		3729'21.8384"N		794'15.4416"W		96.539		645725.278		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.105		100		-18		7		6.758		1.597		19.194		Yes		8/30/25 17:20		RTK		31		0.97		0.56		0.8		10112		-1340		Yes		RTK		3D		0.4		1218		0.472		0.327		0.394		1.149				WME		Water Meter

		UP4026		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4026		8/30/25 17:23		3729'21.0518"N		794'15.5244"W		80.087		645805.365		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		1.694		100		-51		5		11.57		-0.813		30.526		Yes		8/30/25 17:23		RTK		32		1.1		0.61		0.91		10096		-1340		Yes		RTK		3D		0.6		1218		1.913		0.948		0.669		4.27				WME		Water Meter

		UP4027		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4027		8/30/25 17:26		3729'20.1584"N		794'16.1060"W		102.009		645907.374		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.041		100		-32		9		8.26		0.198		27.824		Yes		8/30/25 17:26		RTK		30		1.08		0.61		0.9		10106		-1340		Yes		RTK		3D		1.8		1218		0.591		0.433		0.394		1.465				WME		Water Meter

		UP4028		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4028		8/30/25 17:27		3729'19.6710"N		794'16.0709"W		49.524		645956.898		0		UNKNOWN		38		32768		CLASSIC		OMNI PEAK		140		37.316		100		247		6		13.35		0.577		0.084		Yes		8/30/25 17:27		RTK		31		1.08		0.61		0.89		10102		-1340		Yes		RTK		3D		1.2		1218		0.472		0.433		0.394		1.282				WME		Water Meter

		UP4029		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4029		8/30/25 17:28		3729'19.3148"N		794'15.7089"W		46.42		646003.318		0		UNKNOWN		21		32768		CLASSIC		OMNI PEAK		140		83.492		100		-12		6		12.706		0.587		19.264		Yes		8/30/25 17:28		RTK		31		1.07		0.61		0.88		10083		-1340		Yes		RTK		3D		1.2		1218		0.759		0.551		0.472		1.875				WME		Water Meter

		UP4030		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4030		8/30/25 17:29		3729'19.1983"N		794'15.2098"W		41.883		646045.201		0		UNKNOWN		101		32768		CLASSIC		OMNI PEAK		140		14.358		100		-34		7		11.264		-1.235		46.026		Yes		8/30/25 17:29		RTK		29		1.07		0.61		0.88		10056		-1340		Yes		RTK		3D		0.4		1218		0.759		0.672		0.472		2.027				WME		Water Meter

		UP4031		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4031		8/30/25 17:30		3729'19.4216"N		794'14.5145"W		60.384		646105.585		0		UNKNOWN		307		32768		CLASSIC		OMNI PEAK		140		9.169		100		22		4		11.06		1.945		-30.308		Yes		8/30/25 17:30		RTK		29		1.07		0.61		0.88		10020		-1340		Yes		RTK		3D		0.6		1218		1.27		0.591		0.551		2.802				WME		Water Meter

		UP4032		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4032		8/30/25 17:32		3729'20.5703"N		794'14.7994"W		118.776		646224.361		0		UNKNOWN		99		32768		CLASSIC		OMNI PEAK		140		22.801		100		2		11		12.612		0.762		37.486		Yes		8/30/25 17:32		RTK		30		1.02		0.58		0.83		10069		-1340		Yes		RTK		3D		1		1218		0.512		0.343		0.394		1.232				WME		Water Meter

		UP4033		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4033		8/30/25 17:34		3729'22.5567"N		794'14.4226"W		203.787		646428.149		0		UNKNOWN		2121		32768		CLASSIC		OMNI PEAK		140		3.186		100		12		8		9.808		0.945		55.756		Yes		8/30/25 17:34		RTK		28		1.05		0.61		0.85		10100		-1340		Yes		RTK		3D		0.8		1218		0.433		0.319		0.394		1.076				WME		Water Meter

		UP4034		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4034		8/30/25 17:36		3729'21.0325"N		794'14.6682"W		155.884		646584.033		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		1.005		100		82		10		13.365		0.702		-32.095		Yes		8/30/25 17:36		RTK		31		1.04		0.6		0.84		10066		-1340		Yes		RTK		3D		0.6		1218		0.591		0.472		0.433		1.513				WME		Water Meter

		UP4035		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4035		8/30/25 17:37		3729'21.0340"N		794'14.6673"W		0.168		646584.201		0		UNKNOWN		70		32768		CLASSIC		OMNI PEAK		140		9.819		100		-137		8		12.997		0.372		-81.601		Yes		8/30/25 17:37		RTK		32		1.03		0.6		0.84		10066		-1340		Yes		RTK		3D		1.2		1218		0.386		0.299		0.394		0.977				WME		Water Meter

		UP4036		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4036		8/30/25 17:39		3729'26.0208"N		794'12.6807"W		530.584		647114.784		0		UNKNOWN		116		32768		CLASSIC		OMNI PEAK		140		9.652		100		-15		12		9.541		-0.837		63.837		Yes		8/30/25 17:39		RTK		32		1.02		0.6		0.82		10109		-1340		Yes		RTK		3D		0.6		1218		1.157		0.759		0.591		2.768				WME		Water Meter

		UP4037		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4037		8/30/25 17:42		3729'27.2284"N		794'11.6370"W		148.55		647263.334		0		UNKNOWN		198		32768		CLASSIC		OMNI PEAK		140		5.373		100		-52		5		13.057		-2.112		42.626		Yes		8/30/25 17:42		RTK		31		1.09		0.64		0.89		10098		-1340		Yes		RTK		3D		0.4		1218		0.551		0.35		0.394		1.306				WME		Water Meter

		UP4038		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4038		8/30/25 17:44		3729'28.4284"N		794'10.4766"W		153.446		647416.78		0		UNKNOWN		143		32768		CLASSIC		OMNI PEAK		140		15.225		100		-60		8		9.816		-0.635		12.845		Yes		8/30/25 17:44		RTK		32		1.06		0.63		0.85		10100		-1340		Yes		RTK		3D		1.2		1218		0.759		0.394		0.433		1.709				WME		Water Meter

		UP4039		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4039		8/30/25 17:45		3729'29.3673"N		794'9.4103"W		128.215		647544.995		0		UNKNOWN		50		32768		CLASSIC		OMNI PEAK		140		24.485		100		-10		7		0.89		2.983		74.756		Yes		8/30/25 17:45		RTK		32		1.04		0.6		0.84		10052		-1340		Yes		RTK		3D		0.8		1218		0.759		0.591		0.472		1.923				WME		Water Meter

		UP4040		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4040		8/30/25 17:46		3729'29.8501"N		794'8.7652"W		71.383		647616.378		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		1.237		100		59		9		11.224		0.949		58.803		Yes		8/30/25 17:46		RTK		31		1.08		0.62		0.88		10031		-1340		Yes		RTK		3D		0.4		1218		0.591		0.551		0.433		1.616				WME		Water Meter

		UP4041		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4041		8/30/25 17:47		3729'30.8410"N		794'7.4531"W		145.807		647762.186		0		UNKNOWN		0		32768		CLASSIC		OMNI PEAK		140		0.654		100		6		12		13.102		-3.458		57.327		Yes		8/30/25 17:47		RTK		31		0.97		0.58		0.77		9993		-1340		Yes		RTK		3D		1		1218		1.157		0.85		0.591		2.873				WME		Water Meter

		UP4042		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4042		8/30/25 17:48		3729'31.7959"N		794'5.7338"W		168.935		647931.121		0		UNKNOWN		611		32768		CLASSIC		OMNI PEAK		140		8.085		100		26		12		10.723		-2.778		81.718		Yes		8/30/25 17:48		RTK		32		0.94		0.57		0.74		9885		-1340		Yes		RTK		3D		0.8		1218		0.551		0.472		0.433		1.452				WME		Water Meter

		UP4043		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4043		8/30/25 17:51		3729'32.1363"N		794'3.5533"W		178.881		648110.001		0		UNKNOWN		42		32768		CLASSIC		OMNI PEAK		140		12.065		100		-60		9		11.071		1.136		13.29		Yes		8/30/25 17:51		RTK		32		0.9		0.54		0.73		9804		-1340		Yes		RTK		3D		0.8		1218		0.759		0.551		0.472		1.875				WME		Water Meter

		UP4044		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4044		8/30/25 18:22		3729'22.9694"N		794'9.8542"W		1059.305		649169.306		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		14.246		100		-21		7		38.261		8.622		-41.926		Yes		8/30/25 18:22		RTK		30		1.09		0.58		0.92		9954		-1340		Yes		RTK		3D		0.6		1218		0.551		0.433		0.394		1.402				WME		Water Meter

		UP4045		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4045		8/30/25 18:24		3729'22.9656"N		794'9.8482"W		0.621		649169.927		0		UNKNOWN		16		65536		CLASSIC		OMNI PEAK		140		34.964		100		14		12		11.882		-0.304		-9.668		Yes		8/30/25 18:24		RTK		30		1.09		0.59		0.92		9956		-1340		Yes		RTK		3D		0.8		1218		1.27		0.551		0.551		2.77				WME		Water Meter

		UP4046		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4046		8/30/25 18:27		3729'22.8268"N		794'7.8349"W		162.675		649332.602		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		16.967		100		-3		11		10.488		0.039		-89.781		Yes		8/30/25 18:27		RTK		30		1.09		0.59		0.92		9976		-1340		Yes		RTK		3D		0.4		1218		1.157		0.759		0.591		2.768				WME		Water Meter

		UP4047		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4047		8/30/25 18:30		3729'22.7568"N		794'6.0477"W		144.039		649476.641		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		12.308		100		0		10		11.653		-1.514		29.996		Yes		8/30/25 18:30		RTK		31		1.1		0.59		0.93		9966		-1340		Yes		RTK		3D		1		1218		0.512		0.472		0.394		1.393				WME		Water Meter

		UP4048		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4048		8/30/25 18:31		3729'22.4739"N		794'4.6250"W		118.066		649594.707		0		UNKNOWN		17		65536		CLASSIC		OMNI PEAK		140		19.717		100		3		9		11.858		1.06		-2.761		Yes		8/30/25 18:31		RTK		31		1.1		0.59		0.93		9937		-1340		Yes		RTK		3D		0.4		1218		0.759		0.591		0.512		1.923				WME		Water Meter

		UP4049		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4049		8/30/25 18:35		3729'21.3608"N		793'56.1173"W		694.094		650288.801		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		2.06		100		0		12		11.034		-0.654		28.869		Yes		8/30/25 18:35		RTK		28		1.1		0.59		0.93		9291		-1340		Yes		RTK		3D		1		1218		0.948		0.759		0.63		2.427				WME		Water Meter

		UP4050		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4050		8/30/25 18:40		3729'22.1090"N		793'56.5013"W		81.956		650370.758		0		UNKNOWN		23		65536		CLASSIC		OMNI PEAK		140		20.717		100		1		11		11.058		-2.219		-0.526		Yes		8/30/25 18:40		RTK		29		1.15		0.61		0.97		9360		-1340		Yes		RTK		3D		1.2		1218		0.591		0.512		0.472		1.563				WME		Water Meter

		UP4051		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4051		8/30/25 18:42		3729'22.1392"N		793'57.6110"W		89.379		650460.137		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		2.811		100		0		9		16.121		-3.909		-52.054		Yes		8/30/25 18:42		RTK		29		1.25		0.64		1.07		9504		-1340		Yes		RTK		3D		0.8		1218		0.362		0.319		0.394		0.965				WME		Water Meter

		UP4052		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4052		8/30/25 18:44		3729'22.3517"N		793'59.0946"W		121.353		650581.49		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		42.333		100		3		10		11.028		-0.515		-31.067		Yes		8/30/25 18:44		RTK		32		1.06		0.58		0.88		9651		-1340		Yes		RTK		3D		0.8		1218		0.512		0.433		0.394		1.341				WME		Water Meter

		UP4053		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4053		8/30/25 18:49		3729'22.5653"N		794'1.1325"W		165.47		650746.96		0		UNKNOWN		18		65536		CLASSIC		OMNI PEAK		140		40.208		100		-18		8		11.295		1.587		-5.242		Yes		8/30/25 18:49		RTK		30		1.14		0.62		0.96		9788		-1340		Yes		RTK		3D		0.6		1218		0.672		0.512		0.472		1.689				WME		Water Meter

		UP4054		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4054		8/30/25 18:50		3729'22.5641"N		794'1.1306"W		0.194		650747.153		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		13.016		100		-11		9		10.417		-3.328		-30.571		Yes		8/30/25 18:51		RTK		31		1.14		0.62		0.96		9790		-1340		Yes		RTK		3D		0.6		1218		0.591		0.512		0.433		1.563				WME		Water Meter

		UP4055		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4055		8/30/25 18:54		3729'22.6517"N		794'1.8656"W		59.83		650806.984		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		14.739		100		0		11		24.529		2.146		-38.617		Yes		8/30/25 18:54		RTK		30		1.14		0.62		0.96		9851		-1340		Yes		RTK		3D		1.2		1218		0.672		0.551		0.472		1.738				WME		Water Meter

		UP4056		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4056		8/30/25 18:55		3729'22.9455"N		794'3.2769"W		117.447		650924.43		0		UNKNOWN		28		65536		CLASSIC		OMNI PEAK		140		19.332		100		16		4		20.844		5.659		-65.455		Yes		8/30/25 18:55		RTK		30		1.14		0.62		0.95		9919		-1340		Yes		RTK		3D		1		1218		0.512		0.433		0.394		1.341				WME		Water Meter

		UP4057		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4057		8/30/25 18:59		3729'23.2243"N		794'4.8221"W		127.558		651051.988		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		1.374		100		-26		8		11.484		-0.843		-7.697		Yes		8/30/25 18:59		RTK		31		1.26		0.68		1.06		9945		-1340		Yes		RTK		3D		0.8		1218		0.551		0.394		0.394		1.355				WME		Water Meter

		UP4058		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4058		8/30/25 19:00		3729'23.4735"N		794'6.9791"W		175.466		651227.454		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		7.713		100		-510		4		11.163		0.189		42.32		Yes		8/30/25 19:00		RTK		31		1.26		0.68		1.06		9965		-1340		Yes		RTK		3D		1.4		1218		1.157		0.759		0.591		2.768				WME		Water Meter

		UP4059		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4059		8/30/25 19:01		3729'23.5514"N		794'8.7196"W		140.329		651367.783		0		UNKNOWN		60		65536		CLASSIC		OMNI PEAK		140		39.608		100		10		5		10.43		1.372		2.294		Yes		8/30/25 19:01		RTK		30		1.26		0.68		1.06		9964		-1340		Yes		RTK		3D		1.2		1218		0.512		0.366		0.394		1.259				WME		Water Meter

		UP4060		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4060		8/30/25 19:02		3729'23.5612"N		794'9.8377"W		90.006		651457.789		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.028		100		5		10		10.301		0.779		29.476		Yes		8/30/25 19:02		RTK		30		1.26		0.68		1.06		9972		-1340		Yes		RTK		3D		1.2		1218		0.551		0.394		0.394		1.355				WME		Water Meter

		UP4061		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4061		8/30/25 19:07		3729'11.0515"N		794'1.0643"W		1452.391		652910.179		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		60.066		100		-13		11		8.733		-0.089		5.092		Yes		8/30/25 19:07		RTK		31		1.26		0.68		1.05		9541		-1340		Yes		RTK		3D		0.8		1218		0.433		0.335		0.394		1.095				WME		Water Meter

		UP4062		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4062		8/30/25 19:08		3729'10.6773"N		794'0.2269"W		77.364		652987.543		0		UNKNOWN		53		65536		CLASSIC		OMNI PEAK		140		39.068		100		-31		10		14.154		1.605		-72.669		Yes		8/30/25 19:08		RTK		31		1.26		0.69		1.05		9572		-1340		Yes		RTK		3D		1.2		1218		0.591		0.472		0.472		1.513				WME		Water Meter

		UP4063		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4063		8/30/25 19:08		3729'10.9045"N		793'59.6839"W		49.423		653036.966		0		UNKNOWN		120		65536		CLASSIC		OMNI PEAK		140		27.433		100		43		8		9.379		0.305		-37.02		Yes		8/30/25 19:08		RTK		31		1.26		0.69		1.05		9555		-1340		Yes		RTK		3D		0.8		1218		0.433		0.346		0.394		1.109				WME		Water Meter

		UP4064		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4064		8/30/25 19:10		3729'12.9838"N		793'59.6518"W		210.962		653247.928		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		1.201		100		1		10		10.029		-3.77		-51.638		Yes		8/30/25 19:10		RTK		31		1.25		0.69		1.05		9553		-1340		Yes		RTK		3D		1.2		1218		0.672		0.551		0.472		1.738				WME		Water Meter

		UP4065		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4065		8/30/25 19:14		3729'15.0370"N		793'59.5934"W		208.348		653456.276		0		UNKNOWN		89		65536		CLASSIC		OMNI PEAK		140		29.88		100		9		11		9.973		0.602		-89.093		Yes		8/30/25 19:14		RTK		30		1.24		0.69		1.04		9604		-1340		Yes		RTK		3D		1.2		1218		0.672		0.472		0.433		1.643				WME		Water Meter

		UP4066		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4066		8/30/25 19:16		3729'17.5360"N		794'0.8388"W		272.628		653728.904		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		3.205		100		-3		8		19.886		0.267		-23.036		Yes		8/30/25 19:16		RTK		30		1.24		0.69		1.03		9699		-1340		Yes		RTK		3D		0.8		1218		0.551		0.472		0.394		1.452				WME		Water Meter

		UP4067		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4067		8/30/25 19:16		3729'17.5331"N		794'0.8337"W		0.505		653729.409		0		UNKNOWN		175		65536		CLASSIC		OMNI PEAK		140		19.207		100		7		9		21.31		-2.165		-61.651		Yes		8/30/25 19:16		RTK		30		1.24		0.69		1.03		9696		-1340		Yes		RTK		3D		1.2		1218		0.591		0.512		0.433		1.563				WME		Water Meter

		UP4068		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4068		8/30/25 19:19		3729'16.3153"N		794'0.9554"W		123.938		653853.347		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		10.103		100		0		12		9.929		-2.416		15.883		Yes		8/30/25 19:19		RTK		31		1.23		0.69		1.02		9634		-1340		Yes		RTK		3D		0.8		1218		0.472		0.394		0.394		1.23				WME		Water Meter

		UP4069		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4069		8/30/25 19:21		3729'17.8514"N		794'1.8887"W		173.002		654026.349		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		3.764		100		0		12		11.218		-2.052		38.351		Yes		8/30/25 19:21		RTK		31		1.22		0.69		1.01		9688		-1340		Yes		RTK		3D		0.8		1218		0.512		0.37		0.394		1.263				WME		Water Meter

		UP4070		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4070		8/30/25 19:22		3729'18.8057"N		794'1.9385"W		96.906		654123.255		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		2.076		100		-15		13		15.312		4.106		75.311		Yes		8/30/25 19:22		RTK		32		1.22		0.69		1.01		9714		-1340		Yes		RTK		3D		0.4		1218		0.591		0.378		0.394		1.402				WME		Water Meter

		UP4071		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4071		8/30/25 19:23		3729'20.4363"N		794'1.8618"W		165.539		654288.793		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		6.826		100		0		9		9.621		2.052		-54.053		Yes		8/30/25 19:23		RTK		31		1.22		0.69		1		9743		-1340		Yes		RTK		3D		0.6		1218		1.157		0.512		0.472		2.531				WME		Water Meter

		UP4072		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4072		8/31/25 10:27		3729'26.8743"N		793'38.8364"W		1965.184		656253.977		0		UNKNOWN		22		65536		CLASSIC		OMNI PEAK		140		31.427		100		5		5		12.126		3.106		-7.582		Yes		8/31/25 10:27		RTK		28		1.27		0.68		1.07		9419		-1340		Yes		RTK		3D		0.6		1405		0.551		0.472		0.472		1.452				WME		Water Meter

		UP4073		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4073		8/31/25 10:28		3729'26.9349"N		793'38.0778"W		61.373		656315.35		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		4.87		100		-1		11		12.536		2.662		58.928		Yes		8/31/25 10:28		RTK		29		1.27		0.68		1.07		9452		-1340		Yes		RTK		3D		0.6		1405		0.472		0.394		0.394		1.23				WME		Water Meter

		UP4074		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4074		8/31/25 10:29		3729'27.1748"N		793'36.6450"W		117.875		656433.225		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		31.522		100		1		8		16.684		2.589		-45.906		Yes		8/31/25 10:29		RTK		29		1.27		0.68		1.07		9498		-1340		Yes		RTK		3D		0.4		1405		1.512		1.27		0.866		3.949				WME		Water Meter

		UP4075		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4075		8/31/25 10:31		3729'27.3322"N		793'35.8815"W		63.494		656496.719		0		UNKNOWN		30		65536		CLASSIC		OMNI PEAK		140		52.995		100		0		7		14.892		-0.171		-75.335		Yes		8/31/25 10:32		RTK		29		1.27		0.68		1.07		9508		-1340		Yes		RTK		3D		1		1405		0.85		0.672		0.709		2.168				WME		Water Meter

		UP4076		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4076		8/31/25 10:35		3729'27.1436"N		793'29.4439"W		518.555		657015.273		0		UNKNOWN		10		65536		CLASSIC		OMNI PEAK		140		26.627		100		-6		11		13.805		-1.79		-63.357		Yes		8/31/25 10:35		RTK		28		1.47		0.7		1.29		9674		-1340		Yes		RTK		3D		0.8		1405		0.85		0.759		0.551		2.279				WME		Water Meter

		UP4077		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4077		8/31/25 10:36		3729'27.2016"N		793'30.4959"W		84.881		657100.155		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		7.654		100		3		9		11.591		-1.802		66.414		Yes		8/31/25 10:36		RTK		28		1.47		0.7		1.29		9684		-1340		Yes		RTK		3D		0.4		1405		0.591		0.512		0.512		1.563				WME		Water Meter

		UP4078		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4078		8/31/25 10:40		3729'34.3271"N		793'35.1067"W		812.595		657912.749		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		40.915		100		2		10		12.891		-0.252		-20.578		Yes		8/31/25 10:40		RTK		27		1.13		0.6		0.95		9981		-1340		Yes		RTK		3D		0.8		1405		0.551		0.512		0.433		1.504				WME		Water Meter

		UP4079		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4079		8/31/25 10:40		3729'33.6835"N		793'34.5825"W		77.733		657990.482		0		UNKNOWN		153		65536		CLASSIC		OMNI PEAK		140		13.326		100		0		10		10.897		-1.064		-5.306		Yes		8/31/25 10:40		RTK		28		1.27		0.65		1.09		10006		-1340		Yes		RTK		3D		1		1405		1.157		0.759		0.551		2.768				WME		Water Meter

		UP4080		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4080		8/31/25 10:41		3729'32.2175"N		793'33.5956"W		168.619		658159.101		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		43.403		100		0		9		13.325		-5.466		10.967		Yes		8/31/25 10:41		RTK		28		1.13		0.6		0.96		10015		-1340		Yes		RTK		3D		1.2		1405		0.472		0.472		0.394		1.336				WME		Water Meter

		UP4081		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4081		8/31/25 10:45		3729'30.6489"N		793'33.1780"W		162.64		658321.741		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		18.302		100		-3		12		12.211		-1.633		71.761		Yes		8/31/25 10:45		RTK		28		1.14		0.6		0.97		9866		-1340		Yes		RTK		3D		1.2		1405		0.551		0.472		0.433		1.452				WME		Water Meter

		UP4082		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4082		8/31/25 10:46		3729'29.6414"N		793'33.0727"W		102.566		658424.307		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		35.653		100		-9		8		11.278		-2.645		-30.947		Yes		8/31/25 10:46		RTK		27		1.21		0.63		1.03		9712		-1340		Yes		RTK		3D		0.8		1405		0.472		0.433		0.394		1.282				WME		Water Meter

		UP4083		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4083		8/31/25 10:46		3729'30.6753"N		793'32.5513"W		112.981		658537.288		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		10.425		100		3		11		12.196		-0.385		-82.067		Yes		8/31/25 10:46		RTK		28		1.14		0.6		0.98		9828		-1340		Yes		RTK		3D		1		1405		0.672		0.512		0.433		1.689				WME		Water Meter

		UP4084		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4084		8/31/25 10:47		3729'31.7182"N		793'32.6965"W		106.442		658643.73		0		UNKNOWN		16		65536		CLASSIC		OMNI PEAK		140		24.915		100		-8		8		9.147		-5.506		-22.094		Yes		8/31/25 10:47		RTK		28		1.15		0.6		0.98		9938		-1340		Yes		RTK		3D		0.8		1405		0.85		0.591		0.512		2.071				WME		Water Meter

		UP4085		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4085		8/31/25 10:49		3729'32.7729"N		793'33.2642"W		116.35		658760.081		0		UNKNOWN		70		65536		CLASSIC		OMNI PEAK		140		33.909		100		-16		4		6.891		-2.012		12.208		Yes		8/31/25 10:49		RTK		28		1.15		0.6		0.98		10036		-1340		Yes		RTK		3D		1.2		1405		0.472		0.382		0.394		1.215				WME		Water Meter

		UP4086		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4086		8/31/25 10:57		3729'33.8557"N		793'33.9278"W		122.148		658882.229		0		UNKNOWN		26		65536		CLASSIC		OMNI PEAK		140		11.66		100		-6		11		10.104		0.267		-73.765		Yes		8/31/25 10:57		RTK		29		1.23		0.63		1.06		10033		-1340		Yes		RTK		3D		1		1405		0.672		0.591		0.512		1.789				WME		Water Meter

		UP4087		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4087		8/31/25 10:58		3729'34.3748"N		793'34.3166"W		61.263		658943.492		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		4.339		100		5		11		9.537		-3.774		-19.419		Yes		8/31/25 10:58		RTK		28		1.17		0.6		1.01		10020		-1340		Yes		RTK		3D		1.2		1405		1.512		1.157		0.591		3.808				WME		Water Meter

		UP4088		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4088		8/31/25 11:05		3729'35.7757"N		793'35.3135"W		163.212		659106.704		0		UNKNOWN		51		65536		CLASSIC		OMNI PEAK		140		10.572		100		13		6		8.958		-0.979		-13.161		Yes		8/31/25 11:05		RTK		29		1.18		0.6		1.02		9917		-1340		Yes		RTK		3D		1.2		1405		0.759		0.472		0.433		1.787				WME		Water Meter

		UP4089		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4089		8/31/25 11:06		3729'36.7387"N		793'35.9156"W		109.056		659215.76		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		1.689		100		9		9		7.522		-2.976		39.606		Yes		8/31/25 11:06		RTK		29		1.18		0.6		1.02		9786		-1340		Yes		RTK		3D		1.2		1405		1.27		0.948		0.591		3.17				WME		Water Meter

		UP4090		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4090		8/31/25 11:07		3729'37.7861"N		793'36.1582"W		108.032		659323.792		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		32.895		100		1		10		11.11		-1.024		29.291		Yes		8/31/25 11:07		RTK		29		1.18		0.6		1.02		9677		-1340		Yes		RTK		3D		0.6		1405		1.27		0.759		0.551		2.959				WME		Water Meter

		UP4091		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4091		8/31/25 11:08		3729'37.8347"N		793'37.4367"W		103.034		659426.826		0		UNKNOWN		684		65536		CLASSIC		OMNI PEAK		140		17.946		100		-12		7		9.622		-2.829		36.42		Yes		8/31/25 11:08		RTK		29		1.18		0.6		1.02		9592		-1340		Yes		RTK		3D		1		1405		1.512		1.388		0.709		4.105				WME		Water Meter

		UP4092		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4092		8/31/25 11:09		3729'37.4431"N		793'37.5480"W		40.726		659467.552		0		UNKNOWN		17		65536		CLASSIC		OMNI PEAK		140		16.562		100		-14		11		9.284		4.135		27.508		Yes		8/31/25 11:09		RTK		29		1.18		0.6		1.02		9630		-1340		Yes		RTK		3D		1		1405		1.64		1.388		0.748		4.298				WME		Water Meter

		UP4093		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4093		8/31/25 11:10		3729'36.5279"N		793'36.7906"W		111.078		659578.63		0		UNKNOWN		109		65536		CLASSIC		OMNI PEAK		140		4.793		100		-5		10		3.231		-4.703		-75.855		Yes		8/31/25 11:10		FLOAT RTK		28		1.25		0.62		1.09		9738		-1340		Yes		FLOAT RTK		3D		0.4		1405		22.087		15.645		2.992		54.132				WME		Water Meter

		UP4094		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4094		8/31/25 11:11		3729'35.6642"N		793'35.9807"W		109.214		659687.844		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		2.303		100		-1		10		12.722		0.193		-19.882		Yes		8/31/25 11:11		RTK		29		1.18		0.61		1.02		9891		-1340		Yes		RTK		3D		0.4		1405		1.05		0.672		0.591		2.493				WME		Water Meter

		UP4095		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4095		8/31/25 11:37		3728'37.7166"N		792'58.3372"W		0		659687.844		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		5.031		100		-125		5		12.165		2.021		-22.583		Yes		8/31/25 11:37		RTK		30		1.23		0.66		1.04		9957		-1340		Yes		RTK		3D		1.2		1405		2.688		1.64		0.827		6.297				WME		Water Meter

		UP4096		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4096		8/31/25 11:40		3728'39.1980"N		792'59.5476"W		179.118		659866.961		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		2.439		100		352		9		10.755		2.304		-39.692		Yes		8/31/25 11:40		RTK		29		1.21		0.68		1		9925		-1340		Yes		RTK		3D		1		1405		1.774		1.05		0.669		4.123				WME		Water Meter

		UP4097		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4097		8/31/25 11:41		3728'39.6456"N		793'1.0163"W		126.666		659993.627		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		5.498		100		5		12		10.904		-1.802		-72.721		Yes		8/31/25 11:41		RTK		30		1.18		0.65		0.98		9919		-1340		Yes		RTK		3D		0.6		1405		0.591		0.512		0.394		1.563				WME		Water Meter

		UP4098		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4098		8/31/25 11:57		3728'41.3823"N		793'3.8576"W		288.739		660282.366		0		UNKNOWN		605		65536		CLASSIC		OMNI PEAK		140		7.052		100		30		10		10.325		0.093		-37.205		Yes		8/31/25 11:57		RTK		31		1.05		0.62		0.85		9914		-1340		Yes		RTK		3D		1		1405		0.948		0.551		0.512		2.192				WME		Water Meter

		UP4099		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4099		8/31/25 11:58		3728'41.6011"N		793'4.0918"W		29.123		660311.489		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.347		100		0		11		14.163		-2.471		10.259		Yes		8/31/25 11:58		RTK		31		1.14		0.67		0.93		9923		-1340		Yes		RTK		3D		1		1405		0.551		0.35		0.394		1.306				WME		Water Meter

		UP4100		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4100		8/31/25 12:00		3728'42.1858"N		793'3.9545"W		60.341		660371.83		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		1.052		100		1		9		20.763		-1.119		-10.123		Yes		8/31/25 12:00		RTK		31		1.14		0.67		0.92		9948		-1340		Yes		RTK		3D		1.4		1405		2.858		2.207		0.866		7.223				WME		Water Meter

		UP4101		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4101		8/31/25 12:26		3728'38.9582"N		794'1.3842"W		0		660371.83		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		100		100		12		14		12.074		-2.092		1.935		Yes		8/31/25 12:26		RTK		29		0.89		0.51		0.73		9174		-1340		Yes		RTK		3D		0.6		1436		0.551		0.472		0.394		1.452				WME		Water Meter

		UP4102		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4102		8/31/25 12:26		3728'38.8901"N		794'1.2274"W		14.39		660386.22		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.324		100		-27		6		14.795		-3.251		0.596		Yes		8/31/25 12:26		RTK		29		0.89		0.51		0.73		9192		-1340		Yes		RTK		3D		1.2		1436		0.591		0.551		0.512		1.616				WME		Water Meter

		UP4103		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4103		8/31/25 12:31		3728'40.1110"N		794'1.7545"W		130.929		660517.149		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		17.52		100		-5		8		9.756		5.953		-9.168		Yes		8/31/25 12:31		RTK		30		0.94		0.53		0.78		9031		-1340		Yes		RTK		3D		0.4		1436		2.362		1.64		0.827		5.752				WME		Water Meter

		UP4104		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4104		8/31/25 12:32		3728'39.6991"N		794'2.0006"W		46.246		660563.395		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		13.874		100		-1		11		16.37		-0.83		-30.609		Yes		8/31/25 12:32		FLOAT RTK		30		0.95		0.53		0.79		9044		-1340		Yes		FLOAT RTK		3D		0.4		1436		3.129		2.209		0.394		7.66				WME		Water Meter

		UP4105		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4105		8/31/25 12:40		3728'39.7923"N		793'58.5142"W		280.845		660844.241		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		31.205		100		0		9		8.769		0.626		-17.967		Yes		8/31/25 12:40		RTK		32		0.97		0.53		0.82		9331		-1340		Yes		RTK		3D		0.8		1436		0.472		0.433		0.394		1.282				WME		Water Meter

		UP4106		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4106		8/31/25 12:41		3728'39.6801"N		793'56.6996"W		146.538		660990.779		0		UNKNOWN		17		65536		CLASSIC		OMNI PEAK		140		22.953		100		-4		11		9.413		2.394		-35.058		Yes		8/31/25 12:41		RTK		32		0.97		0.53		0.82		9458		-1340		Yes		RTK		3D		0.8		1436		0.472		0.394		0.394		1.23				WME		Water Meter

		UP4107		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4107		8/31/25 12:42		3728'39.5938"N		793'55.6850"W		82.154		661072.933		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		12.256		100		20		6		8.215		-0.301		-83.043		Yes		8/31/25 12:42		RTK		32		0.98		0.53		0.82		9504		-1340		Yes		RTK		3D		0.4		1436		0.433		0.362		0.394		1.129				WME		Water Meter

		UP4108		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4108		8/31/25 12:44		3728'38.8129"N		793'52.7124"W		252.097		661325.03		0		UNKNOWN		168		65536		CLASSIC		OMNI PEAK		140		11.029		100		-8		10		8.959		0.804		25.754		Yes		8/31/25 12:44		RTK		32		1.03		0.56		0.87		9569		-1340		Yes		RTK		3D		1.6		1436		0.85		0.512		0.512		1.985				WME		Water Meter

		UP4109		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4109		8/31/25 12:46		3728'37.7915"N		793'50.8773"W		180.461		661505.491		0		UNKNOWN		21		65536		CLASSIC		OMNI PEAK		140		71.106		100		6		9		4.785		3.311		7.095		Yes		8/31/25 12:46		RTK		32		1.04		0.56		0.88		9580		-1340		Yes		RTK		3D		9.6		1436		1.512		0.948		0.748		3.568				WME		Water Meter

		UP4110		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4110		8/31/25 12:46		3728'37.6849"N		793'50.4963"W		32.523		661538.014		0		UNKNOWN		41		65536		CLASSIC		OMNI PEAK		140		34.491		100		-32		11		21.005		-2.247		-82.325		Yes		8/31/25 12:47		RTK		32		1.04		0.56		0.88		9589		-1340		Yes		RTK		3D		35.4		1436		3.992		2.362		1.063		9.277				WME		Water Meter

		UP4111		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4111		8/31/25 12:47		3728'37.3788"N		793'49.4681"W		88.417		661626.431		0		UNKNOWN		68		65536		CLASSIC		OMNI PEAK		140		99.325		100		33		9		10.062		1.787		-19.153		Yes		8/31/25 12:47		RTK		32		1.04		0.56		0.88		9606		-1340		Yes		RTK		3D		3.6		1441		1.05		0.591		0.591		2.409				WME		Water Meter

		UP4112		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4112		8/31/25 12:49		3728'38.4925"N		793'50.6551"W		147.987		661774.418		0		UNKNOWN		19		65536		CLASSIC		OMNI PEAK		140		78.548		100		1		6		13.56		2.267		-56.196		Yes		8/31/25 12:49		RTK		32		1.05		0.56		0.89		9636		-1340		Yes		RTK		3D		1		1441		0.433		0.386		0.394		1.16				WME		Water Meter

		UP4113		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4113		8/31/25 12:50		3728'38.6271"N		793'50.7937"W		17.636		661792.054		0		UNKNOWN		64		65536		CLASSIC		OMNI PEAK		140		23.327		100		-29		9		13.796		-3.223		78.265		Yes		8/31/25 12:50		RTK		32		1.05		0.56		0.89		9641		-1340		Yes		RTK		3D		0.4		1441		0.551		0.374		0.394		1.332				WME		Water Meter

		UP4114		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4114		8/31/25 12:51		3728'39.0953"N		793'51.8677"W		98.657		661890.711		0		UNKNOWN		40		65536		CLASSIC		OMNI PEAK		140		44.751		100		23		4		8.916		-0.695		34.454		Yes		8/31/25 12:51		RTK		32		1		0.53		0.85		9611		-1340		Yes		RTK		3D		0.6		1441		0.948		0.551		0.512		2.192				WME		Water Meter

		UP4115		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4115		8/31/25 12:53		3728'40.1439"N		793'55.3937"W		303.16		662193.871		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		25.432		100		-4		10		9.172		1.122		22.748		Yes		8/31/25 12:53		RTK		32		1.02		0.55		0.86		9516		-1340		Yes		RTK		3D		1.6		1441		0.591		0.433		0.394		1.465				WME		Water Meter

		UP4116		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4116		8/31/25 12:54		3728'40.2685"N		793'56.9549"W		126.324		662320.195		0		UNKNOWN		30		65536		CLASSIC		OMNI PEAK		140		30.35		100		5		6		9.869		-2.235		-80.113		Yes		8/31/25 12:54		RTK		32		1.02		0.55		0.86		9443		-1340		Yes		RTK		3D		0.8		1441		0.85		0.551		0.512		2.027				WME		Water Meter

		UP4117		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4117		8/31/25 12:55		3728'40.5138"N		793'59.1502"W		178.489		662498.685		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		2.546		100		16		12		7.147		-0.95		0.908		Yes		8/31/25 12:56		RTK		32		1.08		0.58		0.91		9296		-1340		Yes		RTK		3D		0.4		1441		0.551		0.394		0.394		1.355				WME		Water Meter

		UP4118		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4118		9/1/25 10:56		3728'39.9572"N		792'24.2475"W		0		662498.685		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.85		100		-73		5		13.047		1.763		74.777		Yes		9/1/25 10:56		RTK		24		1.33		0.71		1.12		9467		-1341		Yes		RTK		3D		0.8		1745		2.362		1.27		0.748		5.364				WME		Water Meter

		UP4119		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4119		9/1/25 10:59		3728'39.5330"N		792'23.2726"W		89.51		662588.194		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0		100		-67		4		11.398		1.308		46.463		Yes		9/1/25 10:59		RTK		28		1.16		0.63		0.97		9398		-1341		Yes		RTK		3D		1		1745		1.05		0.759		0.551		2.59				WME		Water Meter

		UP4120		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4120		9/1/25 11:02		3728'37.3834"N		792'19.3048"W		386.795		662974.989		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		52.972		100		-6		4		8.434		-0.874		-58.776		Yes		9/1/25 11:02		RTK		28		1.24		0.66		1.04		9195		-1341		Yes		RTK		3D		1		1745		0.948		0.591		0.512		2.233				WME		Water Meter

		UP4121		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4121		9/1/25 11:03		3728'36.5600"N		792'18.1574"W		124.548		663099.537		0		UNKNOWN		19		65536		CLASSIC		OMNI PEAK		140		19.184		100		-9		11		9.043		0.554		27.956		Yes		9/1/25 11:03		RTK		28		1.24		0.66		1.05		9184		-1341		Yes		RTK		3D		0.4		1745		0.551		0.374		0.394		1.332				WME		Water Meter

		UP4122		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4122		9/1/25 11:11		3728'39.2148"N		792'22.4850"W		440.383		663539.92		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		38.548		100		57		3		11.201		-2.616		-89.127		Yes		9/1/25 11:11		RTK		28		1.25		0.66		1.06		9355		-1341		Yes		RTK		3D		0.6		1745		0.948		0.759		0.551		2.427				WME		Water Meter

		UP4123		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4123		9/1/25 11:13		3728'39.5313"N		792'23.2764"W		71.355		663611.275		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.013		100		-72		3		15.127		1.74		50.144		Yes		9/1/25 11:13		RTK		27		1.25		0.66		1.06		9400		-1341		Yes		RTK		3D		1.6		1745		0.512		0.433		0.394		1.341				WME		Water Meter

		UP4124		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4124		9/1/25 11:17		3728'41.8708"N		792'28.6208"W		491.389		664102.664		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		5.468		100		-21		11		15.56		-0.913		0.767		Yes		9/1/25 11:17		RTK		27		1.25		0.66		1.06		9909		-1341		Yes		RTK		3D		1		1745		1.157		0.948		0.63		2.992				WME		Water Meter

		UP4125		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4125		9/1/25 11:19		3728'42.0755"N		792'31.5509"W		236.814		664339.478		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.678		100		-3		12		6.509		1.205		-82.1		Yes		9/1/25 11:19		RTK		29		1.25		0.66		1.06		9973		-1341		Yes		RTK		3D		2.4		1745		0.948		0.591		0.512		2.233				WME		Water Meter

		UP4126		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4126		9/1/25 11:21		3728'42.1921"N		792'33.1728"W		131.112		664470.59		0		UNKNOWN		27		65536		CLASSIC		OMNI PEAK		140		17.33		100		5		8		7.459		0.436		1.54		Yes		9/1/25 11:21		RTK		27		1.12		0.62		0.93		9945		-1341		Yes		RTK		3D		1.4		1745		0.672		0.472		0.433		1.643				WME		Water Meter

		UP4127		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4127		9/1/25 11:30		3728'42.8282"N		792'35.1011"W		168.127		664638.717		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		31.189		100		0		9		8.994		1.168		-7.753		Yes		9/1/25 11:30		RTK		30		1.05		0.6		0.86		9945		-1341		Yes		RTK		3D		1.4		1745		0.759		0.551		0.433		1.875				WME		Water Meter

		UP4128		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4128		9/1/25 11:33		3728'42.6295"N		792'31.6188"W		281.085		664919.803		0		UNKNOWN		88		65536		CLASSIC		OMNI PEAK		140		100		100		-49		11		21.765		1.148		-64.907		Yes		9/1/25 11:33		RTK		30		1.06		0.61		0.87		10022		-1341		Yes		RTK		3D		1		1745		0.512		0.512		0.394		1.448				WME		Water Meter

		UP4129		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4129		9/1/25 11:34		3728'42.6276"N		792'31.6200"W		0.22		664920.023		0		UNKNOWN		46		65536		CLASSIC		OMNI PEAK		140		69.797		100		-21		9		18.236		-0.307		-41.561		Yes		9/1/25 11:34		RTK		29		1.1		0.62		0.9		10020		-1341		Yes		RTK		3D		0.8		1745		0.433		0.394		0.394		1.171				WME		Water Meter

		UP4130		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4130		9/1/25 11:51		3728'41.4324"N		792'39.7602"W		666.485		665586.508		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		1.259		100		-13		8		9.216		3.709		-1.086		Yes		9/1/25 11:51		RTK		29		1.13		0.64		0.93		9894		-1341		Yes		RTK		3D		1.2		1745		0.382		0.358		0.394		1.047				WME		Water Meter

		UP4131		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4131		9/1/25 11:52		3728'40.5802"N		792'43.6172"W		322.332		665908.84		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		11.001		100		0		13		15.226		-3.96		-45.942		Yes		9/1/25 11:52		RTK		28		1.08		0.62		0.89		9854		-1340		Yes		RTK		3D		0.4		1745		0.672		0.378		0.394		1.542				WME		Water Meter

		UP4132		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4132		9/1/25 11:54		3728'39.3032"N		792'44.6744"W		155.017		666063.857		0		UNKNOWN		50		65536		CLASSIC		OMNI PEAK		140		19.336		100		0		11		6.541		-0.639		27.374		Yes		9/1/25 11:54		RTK		30		1.04		0.6		0.85		9894		-1340		Yes		RTK		3D		1.4		1745		0.85		0.551		0.551		2.027				WME		Water Meter

		UP4133		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4133		9/1/25 11:56		3728'38.7375"N		792'45.6055"W		94.41		666158.267		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		2.639		100		40		7		9.93		-1.676		-23.224		Yes		9/1/25 11:56		RTK		31		1.12		0.63		0.93		9892		-1340		Yes		RTK		3D		0.8		1745		0.759		0.551		0.472		1.875				WME		Water Meter

		UP4134		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4134		9/1/25 12:06		3728'45.3594"N		793'8.0154"W		1925.216		668083.483		0		UNKNOWN		34		65536		CLASSIC		OMNI PEAK		140		19.311		100		-1		10		10.796		-0.812		40.301		Yes		9/1/25 12:06		RTK		30		1.1		0.66		0.88		9972		-1340		Yes		RTK		3D		0.8		1745		1.388		0.759		0.551		3.164				WME		Water Meter

		UP4135		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4135		9/1/25 12:09		3728'48.7767"N		793'9.2841"W		361.418		668444.901		0		UNKNOWN		135		65536		CLASSIC		OMNI PEAK		140		13.26		100		5		7		12.069		0.737		49.174		Yes		9/1/25 12:09		RTK		32		1.01		0.6		0.81		9960		-1340		Yes		RTK		3D		1.2		1745		0.672		0.591		0.512		1.789				WME		Water Meter

		UP4136		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4136		9/1/25 12:16		3728'57.0166"N		793'18.9331"W		1141.152		669586.053		0		UNKNOWN		81		65536		CLASSIC		OMNI PEAK		140		14.111		100		-82		5		9.898		3.21		63.993		Yes		9/1/25 12:16		RTK		30		1.04		0.61		0.84		10148		-1340		Yes		RTK		3D		1.4		1745		0.85		0.591		0.551		2.071				WME		Water Meter

		UP4137		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4137		9/1/25 12:17		3728'56.0370"N		793'17.6056"W		145.943		669731.996		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		6.343		100		25		7		10.768		-1.879		-50.717		Yes		9/1/25 12:17		RTK		32		0.99		0.58		0.8		10115		-1340		Yes		RTK		3D		0.6		1745		1.64		1.05		0.669		3.895				WME		Water Meter

		UP4138		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4138		9/1/25 12:18		3728'54.9752"N		793'16.4625"W		141.672		669873.669		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		5.137		100		-13		11		11.894		-0.096		86.038		Yes		9/1/25 12:19		RTK		32		1.02		0.6		0.82		10096		-1340		Yes		RTK		3D		1		1745		0.948		0.672		0.591		2.323				WME		Water Meter

		UP4139		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4139		9/1/25 12:19		3728'53.9368"N		793'15.0709"W		153.785		670027.453		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		140		33.704		100		1		11		9.364		1.46		49.571		Yes		9/1/25 12:20		RTK		31		1.04		0.6		0.85		10080		-1340		Yes		RTK		3D		1.2		1745		0.374		0.323		0.394		0.988				WME		Water Meter

		UP4140		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4140		9/1/25 12:26		3728'57.3499"N		793'19.4117"W		491.954		670519.408		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.419		100		-5		12		16.847		0.532		76.155		Yes		9/1/25 12:26		RTK		30		1.01		0.56		0.85		10164		-1340		Yes		RTK		3D		1.4		1745		0.512		0.472		0.433		1.393				WME		Water Meter

		UP4141		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4141		9/1/25 12:31		3728'59.5692"N		793'22.6529"W		344.642		670864.05		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		13.078		100		-4		8		11.868		2.172		23.356		Yes		9/1/25 12:31		RTK		32		1.03		0.56		0.87		10068		-1340		Yes		RTK		3D		1		1745		0.433		0.343		0.394		1.104				WME		Water Meter

		UP4142		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4142		9/1/25 12:31		3728'59.6738"N		793'22.7153"W		11.736		670875.786		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		3.658		100		-8		11		10.489		-1.035		-88.104		Yes		9/1/25 12:31		RTK		32		1.03		0.56		0.87		10071		-1340		Yes		RTK		3D		4.2		1745		0.948		0.551		0.512		2.192				WME		Water Meter

		UP4143		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4143		9/1/25 12:33		3729'2.1455"N		793'25.2958"W		325.635		671201.421		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		13.821		100		21		8		12.172		-0.235		-54.981		Yes		9/1/25 12:33		RTK		32		1.04		0.56		0.88		10119		-1340		Yes		RTK		3D		1		1745		0.948		0.551		0.551		2.192				WME		Water Meter

		UP4144		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4144		9/1/25 12:34		3729'0.7841"N		793'24.8450"W		142.81		671344.231		0		UNKNOWN		15		65536		CLASSIC		OMNI PEAK		140		39.294		100		10		9		10.227		2.095		-15.694		Yes		9/1/25 12:34		RTK		32		1.04		0.56		0.88		10097		-1340		Yes		RTK		3D		1		1745		0.591		0.551		0.472		1.616				WME		Water Meter

		UP4145		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4145		9/1/25 12:35		3728'59.7119"N		793'23.6400"W		145.748		671489.979		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		3.888		100		-5		10		12.778		-1.923		58.759		Yes		9/1/25 12:35		RTK		32		1.04		0.56		0.88		10059		-1340		Yes		RTK		3D		0.4		1745		0.433		0.354		0.394		1.119				WME		Water Meter

		UP4146		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4146		9/1/25 12:36		3728'58.2840"N		793'21.9662"W		197.837		671687.816		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.619		100		-22		10		19.368		-1.106		60.792		Yes		9/1/25 12:36		RTK		31		1.05		0.56		0.89		10095		-1340		Yes		RTK		3D		0.6		1745		0.672		0.512		0.512		1.689				WME		Water Meter

		UP4147		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		4147		9/2/25 7:18		3728'40.2840"N		797'37.5227"W		0		671687.816		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		71.874		100		3		9		9.917		-1.024		-23.466		Yes		9/2/25 7:18		DGPS SPS VALID		28		1.21		0.64		1.03		10295		-1339		Yes		DIFFERENTIAL		3D		3.4		2005		26.469		22.642		23.622		69.663				WME		Water Meter

		UP4148		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4148		9/2/25 7:19		3728'40.2827"N		797'37.5573"W		2.788		671690.605		0		UNKNOWN		16		65536		CLASSIC		OMNI PEAK		140		23.594		100		6		9		12.627		-0.768		-88.625		Yes		9/2/25 7:19		RTK		28		1.21		0.64		1.03		10286		-1339		Yes		RTK		3D		1		2005		1.27		0.948		0.669		3.17				WME		Water Meter

		UP4149		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4149		9/2/25 7:20		3728'39.3052"N		797'37.6902"W		99.742		671790.346		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		35.817		100		-3		11		12.76		0.115		-19.176		Yes		9/2/25 7:20		RTK		32		1.05		0.55		0.9		10390		-1339		Yes		RTK		3D		1.8		2005		0.85		0.512		0.512		1.985				WME		Water Meter

		UP4150		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4150		9/2/25 7:21		3728'38.4318"N		797'37.6740"W		88.619		671878.966		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		4.395		100		-8		6		12.558		-2.129		-83.543		Yes		9/2/25 7:21		RTK		32		1.03		0.54		0.88		10429		-1339		Yes		RTK		3D		2.2		2005		0.85		0.551		0.472		2.027				WME		Water Meter

		UP4151		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4151		9/2/25 7:29		3728'36.1127"N		797'39.1034"W		261.908		672140.874		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		32.083		100		0		13		14.503		2.009		-42.619		Yes		9/2/25 7:29		RTK		32		1		0.53		0.84		10426		-1339		Yes		RTK		3D		1		2005		1.27		0.551		0.551		2.77				WME		Water Meter

		UP4152		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4152		9/2/25 7:30		3728'36.0831"N		797'38.6400"W		37.432		672178.306		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		4.212		100		-4		6		9.714		2.218		-36.135		Yes		9/2/25 7:30		RTK		31		1.05		0.56		0.89		10416		-1339		Yes		RTK		3D		1		2005		0.591		0.512		0.433		1.563				WME		Water Meter

		UP4153		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4153		9/2/25 7:31		3728'35.9597"N		797'41.7953"W		254.347		672432.652		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		8.971		100		-1		11		7.436		2.286		79.947		Yes		9/2/25 7:31		RTK		32		0.99		0.53		0.83		10471		-1339		Yes		RTK		3D		4.4		2005		0.948		0.472		0.433		2.118				WME		Water Meter

		UP4154		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		4154		9/2/25 7:34		3728'35.7713"N		797'43.0343"W		101.565		672534.217		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.349		100		1		13		5.96		-0.14		1.66		Yes		9/2/25 7:34		DGPS SPS VALID		32		0.94		0.5		0.8		10407		-1339		Yes		DIFFERENTIAL		3D		0		131		10.843		7.335		9.055		26.181				WME		Water Meter

		UP4155		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		4155		9/2/25 7:34		3728'35.7672"N		797'43.0371"W		0.47		672534.687		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		11.98		100		6		7		43.124		2.674		-45.833		Yes		9/2/25 7:34		DGPS SPS VALID		32		0.93		0.49		0.79		10425		-1339		Yes		DIFFERENTIAL		3D		0		131		10.843		7.335		9.449		26.181				WME		Water Meter

		UP4156		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		4156		9/2/25 7:36		3728'35.7643"N		797'43.0308"W		0.586		672535.273		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		14.895		100		-2		5		66.72		-6.492		-18.866		Yes		9/2/25 7:36		DGPS SPS VALID		32		0.91		0.49		0.77		10453		-1339		Yes		DIFFERENTIAL		3D		0		131		11.48		8.291		9.843		28.323				WME		Water Meter

		UP4157		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4157		9/2/25 7:37		3728'35.7496"N		797'43.0068"W		2.443		672537.716		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		34.051		100		-1		10		9.779		0.576		68.327		Yes		9/2/25 7:37		RTK		32		0.93		0.5		0.79		10457		-1339		Yes		RTK		3D		5.6		2011		0.591		0.39		0.394		1.415				WME		Water Meter

		UP4158		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4158		9/2/25 7:40		3728'35.4551"N		797'44.8553"W		151.798		672689.514		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		-12		10		13.409		-1.569		17.421		Yes		9/2/25 7:40		RTK		32		0.92		0.5		0.78		10451		-1339		Yes		RTK		3D		4.8		2013		0.85		0.551		0.512		2.027				WME		Water Meter

		UP4159		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4159		9/2/25 7:42		3728'31.8537"N		798'0.6987"W		1326.869		674016.384		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		96.316		100		2		8		8.279		1.3		-40.919		Yes		9/2/25 7:42		RTK		32		1.01		0.55		0.84		10168		-1338		Yes		RTK		3D		1		2013		3.402		1.388		0.945		7.348				WME		Water Meter

		UP4160		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4160		9/2/25 7:42		3728'31.8553"N		798'0.6703"W		2.291		674018.675		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		35.151		100		1		10		11.599		-0.07		70.143		Yes		9/2/25 7:42		RTK		32		0.98		0.55		0.81		10166		-1338		Yes		RTK		3D		4.4		2013		2.522		1.388		0.906		5.758				WME		Water Meter

		UP4161		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4161		9/2/25 7:48		3728'31.3231"N		798'1.6532"W		95.796		674114.471		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		-1		10		11.494		2.977		-36.416		Yes		9/2/25 7:48		RTK		31		1.02		0.54		0.86		10161		-1338		Yes		RTK		3D		1.6		2013		0.85		0.512		0.472		1.985				WME		Water Meter

		UP4162		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4162		9/2/25 7:50		3728'31.2209"N		798'1.6516"W		10.372		674124.843		0		UNKNOWN		79		65536		CLASSIC		OMNI PEAK		140		59.845		100		0		12		5.499		0.825		-49.834		Yes		9/2/25 7:50		RTK		32		1.01		0.54		0.86		10161		-1338		Yes		RTK		3D		1.4		2013		0.591		0.472		0.394		1.513				WME		Water Meter

		UP4163		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4163		9/2/25 7:54		3728'31.2536"N		797'58.1158"W		284.697		674409.54		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		140		100		100		3		5		11.494		0.901		5.154		Yes		9/2/25 7:54		RTK		32		0.97		0.54		0.81		10215		-1339		Yes		RTK		3D		3		2013		3.402		1.388		0.787		7.348				WME		Water Meter

		UP4164		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4164		9/2/25 7:54		3728'31.0321"N		797'57.0805"W		86.33		674495.87		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		100		100		5		8		10.186		-0.232		-61.681		Yes		9/2/25 7:54		RTK		32		1.06		0.57		0.89		10276		-1339		Yes		RTK		3D		1.8		2013		0.948		0.472		0.512		2.118				WME		Water Meter

		UP4165		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4165		9/2/25 7:56		3728'30.6224"N		797'55.6856"W		119.753		674615.623		0		UNKNOWN		19		65536		CLASSIC		OMNI PEAK		140		9.316		100		-11		9		7.076		-0.51		8.224		Yes		9/2/25 7:56		RTK		32		0.96		0.53		0.8		10329		-1339		Yes		RTK		3D		1.6		2013		1.512		0.759		0.669		3.383				WME		Water Meter

		UP4166		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4166		9/2/25 7:56		3728'30.6180"N		797'55.6600"W		2.113		674617.736		0		UNKNOWN		28		65536		CLASSIC		OMNI PEAK		140		12.081		100		-13		8		7.399		-1.456		-44.383		Yes		9/2/25 7:56		RTK		32		0.96		0.53		0.8		10331		-1339		Yes		RTK		3D		5.8		2013		1.27		0.591		0.551		2.802				WME		Water Meter

		UP4167		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4167		9/2/25 7:58		3728'30.4683"N		797'53.7054"W		158.1		674775.836		0		UNKNOWN		14		65536		CLASSIC		OMNI PEAK		140		16.413		100		21		10		9.316		1.855		-13.212		Yes		9/2/25 7:58		RTK		31		1.02		0.57		0.84		10407		-1339		Yes		RTK		3D		1		2013		0.85		0.472		0.433		1.946				WME		Water Meter

		UP4168		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4168		9/2/25 8:00		3728'33.4635"N		797'47.7855"W		565.244		675341.08		0		UNKNOWN		19		65536		CLASSIC		OMNI PEAK		140		100		100		3		5		10.517		-0.59		5.835		Yes		9/2/25 8:00		RTK		32		1.05		0.58		0.88		10445		-1339		Yes		RTK		3D		1.2		2013		0.672		0.472		0.433		1.643				WME		Water Meter

		UP4169		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4169		9/2/25 8:01		3728'34.6712"N		797'45.8105"W		200.744		675541.824		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		100		100		-4		9		11.289		-0.466		-39.981		Yes		9/2/25 8:01		RTK		32		0.99		0.54		0.83		10453		-1339		Yes		RTK		3D		0.6		2013		0.591		0.433		0.433		1.465				WME		Water Meter

		UP4170		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4170		9/2/25 8:02		3728'35.2786"N		797'42.6792"W		259.524		675801.348		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		100		100		2		11		7.134		0.802		7.076		Yes		9/2/25 8:02		RTK		32		0.95		0.54		0.78		10474		-1339		Yes		RTK		3D		1		2013		0.591		0.472		0.472		1.513				WME		Water Meter

		UP4171		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4171		9/2/25 8:04		3728'35.5775"N		797'40.5568"W		173.548		675974.896		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		140		93.736		100		0		12		9.035		-0.601		-35.103		Yes		9/2/25 8:04		RTK		31		1.09		0.59		0.92		10459		-1339		Yes		RTK		3D		0.8		2013		0.512		0.39		0.394		1.287				WME		Water Meter

		UP4172		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4172		9/2/25 8:08		3728'30.4136"N		797'27.2934"W		1189.45		677164.346		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		7.432		100		-2		13		9.223		0.673		-38.826		Yes		9/2/25 8:08		RTK		30		1.13		0.58		0.97		10937		-1339		Yes		RTK		3D		1.4		2013		1.05		0.551		0.512		2.372				WME		Water Meter

		UP4173		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4173		9/2/25 8:08		3728'30.1646"N		797'27.2490"W		25.512		677189.858		0		UNKNOWN		33		65536		CLASSIC		OMNI PEAK		140		100		100		1		9		12.237		-1.199		4.976		Yes		9/2/25 8:08		RTK		32		1.13		0.58		0.97		10929		-1339		Yes		RTK		3D		1.2		2013		1.913		1.05		0.787		4.365				WME		Water Meter

		UP4174		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4174		9/2/25 8:09		3728'30.0783"N		797'26.8301"W		34.843		677224.701		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		15.591		100		-20		8		8.295		1.189		-6.887		Yes		9/2/25 8:09		RTK		32		1.22		0.6		1.06		10901		-1339		Yes		RTK		3D		1.4		2013		0.759		0.551		0.472		1.875				WME		Water Meter

		UP4175		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4175		9/2/25 8:13		3728'30.5239"N		797'22.1408"W		380.245		677604.946		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		36.448		100		-6		10		10.548		1.249		-11.964		Yes		9/2/25 8:13		RTK		30		1.12		0.58		0.96		10856		-1339		Yes		RTK		3D		1		2013		0.672		0.433		0.433		1.599				WME		Water Meter

		UP4176		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4176		9/2/25 8:14		3728'30.6203"N		797'20.1724"W		158.783		677763.729		0		UNKNOWN		14		65536		CLASSIC		OMNI PEAK		140		75.38		100		-1		10		12.656		1.528		-3.565		Yes		9/2/25 8:14		RTK		32		1.21		0.6		1.05		10907		-1339		Yes		RTK		3D		1		2013		1.27		0.948		0.748		3.17				WME		Water Meter

		UP4177		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4177		9/2/25 8:15		3728'30.6934"N		797'19.1853"W		79.818		677843.547		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		-4		8		13.47		-0.179		88.278		Yes		9/2/25 8:15		FLOAT RTK		32		1.13		0.61		0.95		10931		-1339		Yes		FLOAT RTK		3D		1.6		2013		3.497		2.209		0.472		8.272				WME		Water Meter

		UP4178		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4178		9/2/25 8:25		3728'29.7129"N		797'9.6703"W		772.515		678616.061		0		UNKNOWN		32		65536		CLASSIC		OMNI PEAK		140		81.356		100		-14		9		19.339		-9.292		23.427		Yes		9/2/25 8:25		RTK		32		1.16		0.59		1		11188		-1339		Yes		RTK		3D		1		2013		0.672		0.512		0.472		1.689				WME		Water Meter

		UP4179		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4179		9/2/25 8:26		3728'28.0582"N		797'10.6850"W		186.696		678802.757		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		34.008		100		0		10		14.671		-4.238		-74.688		Yes		9/2/25 8:26		RTK		32		1.15		0.59		0.99		11077		-1339		Yes		RTK		3D		1.8		2013		0.948		0.591		0.591		2.233				WME		Water Meter

		UP4180		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4180		9/2/25 8:28		3728'26.1130"N		797'11.8538"W		218.633		679021.39		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		100		100		0		10		11.708		1.525		-21.588		Yes		9/2/25 8:28		RTK		32		1.12		0.58		0.96		10957		-1339		Yes		RTK		3D		0.6		2013		0.759		0.472		0.512		1.787				WME		Water Meter

		UP4181		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4181		9/2/25 8:33		3728'20.3077"N		797'14.1499"W		617.28		679638.671		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		34.919		100		17		6		9.906		1.988		-73.322		Yes		9/2/25 8:33		RTK		32		1.1		0.58		0.93		11142		-1339		Yes		RTK		3D		1		2013		1.05		0.672		0.63		2.493				WME		Water Meter

		UP4182		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4182		9/2/25 8:34		3728'21.6113"N		797'13.8135"W		134.989		679773.66		0		UNKNOWN		51		65536		CLASSIC		OMNI PEAK		140		100		100		1		11		9.295		-1.125		12.377		Yes		9/2/25 8:34		RTK		32		1.09		0.58		0.93		11052		-1339		Yes		RTK		3D		1.4		2013		0.591		0.472		0.472		1.513				WME		Water Meter

		UP4183		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4183		9/2/25 8:35		3728'20.1823"N		797'14.0662"W		146.394		679920.054		0		UNKNOWN		379		65536		CLASSIC		OMNI PEAK		140		99.058		100		-2		8		11.535		-6.699		-30.946		Yes		9/2/25 8:35		RTK		32		1.12		0.6		0.95		11137		-1339		Yes		RTK		3D		1		2013		1.388		0.551		0.827		2.988				WME		Water Meter

		UP4184		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4184		9/2/25 8:36		3728'18.8214"N		797'14.1114"W		138.108		680058.162		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		8.963		100		5		9		8.332		-4.1		41.833		Yes		9/2/25 8:36		RTK		32		1.13		0.61		0.95		11142		-1339		Yes		RTK		3D		1.2		2013		0.672		0.472		0.472		1.643				WME		Water Meter

		UP4185		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4185		9/2/25 8:37		3728'18.3815"N		797'15.3212"W		107.145		680165.308		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		22.246		100		-25		7		8.285		1.626		-53.45		Yes		9/2/25 8:37		RTK		31		1.1		0.58		0.94		11163		-1339		Yes		RTK		3D		0.8		2013		0.591		0.433		0.512		1.465				WME		Water Meter

		UP4186		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4186		9/2/25 8:40		3728'10.7443"N		797'11.8664"W		823.227		680988.535		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		89.389		100		-17		11		8.369		-0.072		-28.721		Yes		9/2/25 8:40		RTK		32		1		0.55		0.84		10827		-1339		Yes		RTK		3D		0.4		2013		2.362		1.913		0.945		6.08				WME		Water Meter

		UP4187		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4187		9/2/25 8:42		3728'10.2617"N		797'19.8122"W		641.655		681630.19		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		100		100		-1		10		9.077		-3.177		-51.562		Yes		9/2/25 8:42		RTK		32		1		0.55		0.84		10819		-1339		Yes		RTK		3D		0.6		2013		0.948		0.591		0.63		2.233				WME		Water Meter

		UP4188		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4188		9/2/25 8:44		3728'16.2232"N		797'18.0288"W		621.605		682251.795		0		UNKNOWN		21		65536		CLASSIC		OMNI PEAK		140		100		100		17		7		7.589		-0.306		-24.242		Yes		9/2/25 8:44		RTK		32		1.02		0.56		0.86		11124		-1339		Yes		RTK		3D		2.8		2013		1.388		0.85		0.669		3.256				WME		Water Meter

		UP4189		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4189		9/2/25 8:45		3728'16.2238"N		797'18.0527"W		1.925		682253.72		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		100		100		1		8		10.385		1.446		-4.155		Yes		9/2/25 8:45		RTK		32		1.09		0.61		0.9		11122		-1339		Yes		RTK		3D		1.4		2013		1.913		0.85		0.709		4.188				WME		Water Meter

		UP4190		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4190		9/2/25 8:45		3728'16.2481"N		797'18.4522"W		32.258		682285.978		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		24.435		100		20		10		10.467		0.502		-56.123		Yes		9/2/25 8:45		RTK		32		1		0.56		0.83		11124		-1339		Yes		RTK		3D		0.6		2013		0.672		0.394		0.394		1.558				WME		Water Meter

		UP4191		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4191		9/2/25 8:45		3728'16.2431"N		797'18.3956"W		4.579		682290.557		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		21.491		100		-2		7		10.384		-2.061		12.37		Yes		9/2/25 8:45		RTK		32		1.02		0.6		0.83		11124		-1339		Yes		RTK		3D		1		2013		0.759		0.433		0.433		1.747				WME		Water Meter

		UP4192		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4192		9/2/25 8:46		3728'16.2718"N		797'19.1167"W		58.131		682348.688		0		UNKNOWN		67		65536		CLASSIC		OMNI PEAK		140		79.47		100		-25		9		10.79		2.007		89.312		Yes		9/2/25 8:46		RTK		32		0.98		0.55		0.82		11081		-1339		Yes		RTK		3D		1.2		2013		1.05		0.512		0.551		2.336				WME		Water Meter

		UP4193		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4193		9/2/25 8:46		3728'16.2928"N		797'19.7011"W		47.098		682395.787		0		UNKNOWN		111		65536		CLASSIC		OMNI PEAK		140		100		100		94		7		9.07		1.683		-42.966		Yes		9/2/25 8:46		RTK		32		1.04		0.57		0.87		11085		-1339		Yes		RTK		3D		1		2013		1.157		0.551		0.669		2.564				WME		Water Meter

		UP4194		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4194		9/2/25 8:46		3728'16.2792"N		797'19.4809"W		17.78		682413.567		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		1.862		100		-36		2		11.615		0.162		21.825		Yes		9/2/25 8:46		RTK		32		1.02		0.56		0.85		11085		-1339		Yes		RTK		3D		1.8		2013		1.512		1.05		0.709		3.681				WME		Water Meter

		UP4195		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4195		9/2/25 8:50		3728'13.6883"N		797'22.9149"W		381.495		682795.062		0		UNKNOWN		181		65536		CLASSIC		OMNI PEAK		140		100		100		-6		7		8.875		0.159		45.965		Yes		9/2/25 8:50		RTK		32		1.1		0.59		0.93		10858		-1339		Yes		RTK		3D		0.6		2013		6.302		1.913		1.378		13.172				WME		Water Meter

		UP4196		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4196		9/2/25 8:50		3728'13.6024"N		797'22.9832"W		10.303		682805.365		-0.001		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		-31		7		10.703		-2.43		-9.311		Yes		9/2/25 8:50		RTK		32		1.06		0.58		0.89		10855		-1339		Yes		RTK		3D		1.2		2013		2.362		1.05		0.866		5.17				WME		Water Meter

		UP4197		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4197		9/2/25 8:51		3728'12.1130"N		797'24.0111"W		172.287		682977.652		0		UNKNOWN		178		65536		CLASSIC		OMNI PEAK		140		76.924		100		25		7		14.793		-3.441		31.592		Yes		9/2/25 8:51		RTK		32		0.96		0.54		0.8		10666		-1339		Yes		RTK		3D		1.4		2013		0.85		0.672		0.551		2.168				WME		Water Meter

		UP4198		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4198		9/2/25 8:52		3728'11.1858"N		797'23.6886"W		97.573		683075.225		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		66.094		100		12		9		14.236		-0.942		50.202		Yes		9/2/25 8:52		RTK		32		1		0.56		0.83		10580		-1339		Yes		RTK		3D		1.4		2013		1.27		1.05		0.669		3.296				WME		Water Meter

		UP4199		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4199		9/2/25 8:54		3728'12.4607"N		797'26.3828"W		252.56		683327.785		0		UNKNOWN		85		65536		CLASSIC		OMNI PEAK		140		67.491		100		5		6		16.526		-2.732		-47.851		Yes		9/2/25 8:54		RTK		31		1.02		0.56		0.85		10511		-1339		Yes		RTK		3D		1.2		2013		0.394		0.346		0.394		1.049				WME		Water Meter

		UP4200		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4200		9/2/25 8:55		3728'14.6798"N		797'27.2391"W		235.445		683563.23		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		49.322		100		9		8		12.251		0.802		75.146		Yes		9/2/25 8:55		RTK		31		0.97		0.56		0.79		10593		-1339		Yes		RTK		3D		0.8		2013		0.512		0.394		0.394		1.291				WME		Water Meter

		UP4201		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4201		9/2/25 8:56		3728'16.6144"N		797'24.8513"W		274.747		683837.977		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		6.085		100		-8		8		14.986		-3.181		-88.642		Yes		9/2/25 8:56		RTK		31		0.93		0.52		0.77		10634		-1339		Yes		RTK		3D		1.8		2013		0.551		0.512		0.433		1.504				WME		Water Meter

		UP4202		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4202		9/2/25 8:58		3728'17.9778"N		797'23.0737"W		199.036		684037.013		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		21.564		100		-1		7		20.022		1.719		0.827		Yes		9/2/25 8:58		RTK		31		0.92		0.52		0.77		10636		-1339		Yes		RTK		3D		0.8		2013		0.512		0.472		0.394		1.393				WME		Water Meter

		UP4203		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4203		9/2/25 9:00		3728'19.3143"N		797'21.7659"W		171.676		684208.688		0		UNKNOWN		658		65536		CLASSIC		OMNI PEAK		140		53.929		100		-3		13		15.42		-2.954		36.334		Yes		9/2/25 9:00		RTK		32		1.02		0.56		0.85		10583		-1339		Yes		RTK		3D		1		2013		2.058		1.774		0.866		5.434				WME		Water Meter

		UP4204		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4204		9/2/25 9:02		3728'18.1732"N		797'25.7449"W		340.643		684549.332		0		UNKNOWN		42		65536		CLASSIC		OMNI PEAK		140		82.392		100		1		8		8.698		0.792		-6.596		Yes		9/2/25 9:02		RTK		32		1		0.56		0.82		10561		-1339		Yes		RTK		3D		1.8		2013		1.512		1.27		0.748		3.949				WME		Water Meter

		UP4205		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4205		9/2/25 9:03		3728'18.0598"N		797'27.4601"W		138.581		684687.913		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		88.831		100		3		7		9.822		-2.125		50.14		Yes		9/2/25 9:03		RTK		32		0.97		0.54		0.8		10478		-1339		Yes		RTK		3D		1.4		2013		0.759		0.591		0.512		1.923				WME		Water Meter

		UP4206		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4206		9/2/25 9:04		3728'17.8956"N		797'28.4912"W		84.674		684772.587		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		16.807		100		1		12		12.764		-0.415		7.744		Yes		9/2/25 9:04		RTK		32		1.02		0.56		0.85		10397		-1339		Yes		RTK		3D		1		2013		0.551		0.472		0.433		1.452				WME		Water Meter

		UP4207		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4207		9/2/25 9:08		3728'17.7454"N		797'30.7178"W		179.925		684952.512		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		100		100		68		11		13.239		-2.153		-32.778		Yes		9/2/25 9:08		RTK		32		1.03		0.56		0.86		10305		-1339		Yes		RTK		3D		1		2013		0.672		0.551		0.512		1.738				WME		Water Meter

		UP4208		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4208		9/2/25 9:09		3728'17.6414"N		797'31.9364"W		98.689		685051.201		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		100		100		0		12		9.007		-2.05		16.605		Yes		9/2/25 9:09		RTK		32		0.96		0.54		0.79		10275		-1339		Yes		RTK		3D		0.8		2013		0.672		0.591		0.472		1.789				WME		Water Meter

		UP4209		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4209		9/2/25 9:10		3728'17.1267"N		797'34.5546"W		217.174		685268.375		0.001		UNKNOWN		55040		65536		CLASSIC		OMNI PEAK		140		86.246		100		97		9		13.76		-3.622		20.242		Yes		9/2/25 9:10		RTK		32		0.95		0.54		0.78		10189		-1339		Yes		RTK		3D		1.2		2013		0.433		0.39		0.394		1.165				WME		Water Meter

		UP4210		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4210		9/2/25 9:12		3728'16.7331"N		797'36.1996"W		138.343		685406.718		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		100		100		-3		12		9.826		-2.243		64.988		Yes		9/2/25 9:12		RTK		32		1.02		0.57		0.85		10190		-1339		Yes		RTK		3D		1.4		2013		1.27		0.85		0.591		3.057				WME		Water Meter

		UP4211		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4211		9/2/25 9:13		3728'16.4840"N		797'37.3483"W		95.881		685502.599		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		29.469		100		-9		6		9.877		-0.717		38.786		Yes		9/2/25 9:13		RTK		32		0.94		0.54		0.77		10212		-1339		Yes		RTK		3D		1.6		2013		1.27		0.948		0.669		3.17				WME		Water Meter

		UP4212		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4212		9/2/25 9:13		3728'16.1472"N		797'38.4685"W		96.448		685599.047		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		4		12		20.332		2.123		2.502		Yes		9/2/25 9:13		RTK		32		0.94		0.54		0.77		10245		-1339		Yes		RTK		3D		1		2013		0.672		0.512		0.433		1.689				WME		Water Meter

		UP4213		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4213		9/2/25 9:14		3728'15.9205"N		797'39.5584"W		90.715		685689.762		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		20.844		100		-7		7		10.106		-1.782		-40.265		Yes		9/2/25 9:14		RTK		32		0.91		0.53		0.74		10247		-1339		Yes		RTK		3D		1.4		2013		1.27		0.759		0.591		2.959				WME		Water Meter

		UP4214		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4214		9/2/25 9:19		3728'15.7591"N		797'42.3940"W		228.901		685918.663		0		UNKNOWN		50		65536		CLASSIC		OMNI PEAK		140		63.476		100		6		10		15.292		-2.045		22.896		Yes		9/2/25 9:19		RTK		32		0.93		0.54		0.75		10218		-1339		Yes		RTK		3D		1		2013		0.591		0.551		0.472		1.616				WME		Water Meter

		UP4215		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4215		9/2/25 9:20		3728'15.8025"N		797'43.9797"W		127.758		686046.421		0		UNKNOWN		14		65536		CLASSIC		OMNI PEAK		140		100		100		3		11		11.688		1.534		-68.094		Yes		9/2/25 9:20		RTK		32		0.92		0.54		0.75		10198		-1339		Yes		RTK		3D		1.2		2013		0.551		0.512		0.433		1.504				WME		Water Meter

		UP4216		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4216		9/2/25 9:22		3728'14.9394"N		797'45.7787"W		169.26		686215.681		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		38.977		100		0		11		8.462		-2.588		0.265		Yes		9/2/25 9:22		RTK		32		0.92		0.54		0.74		10032		-1339		Yes		RTK		3D		1		2013		0.672		0.591		0.472		1.789				WME		Water Meter

		UP4217		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4217		9/2/25 9:23		3728'14.0284"N		797'45.9251"W		93.167		686308.848		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		3		8		12.399		0.864		-15.651		Yes		9/2/25 9:23		RTK		32		1.02		0.58		0.84		9899		-1339		Yes		RTK		3D		1.2		2013		1.27		0.672		0.669		2.874				WME		Water Meter

		UP4218		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4218		9/2/25 9:24		3728'13.0927"N		797'45.7388"W		96.107		686404.955		0		UNKNOWN		21		65536		CLASSIC		OMNI PEAK		140		100		100		-26		10		11.062		-2.406		-65.397		Yes		9/2/25 9:24		RTK		32		0.99		0.58		0.81		9801		-1339		Yes		RTK		3D		0.6		2013		0.591		0.551		0.512		1.616				WME		Water Meter

		UP4219		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4219		9/2/25 9:25		3728'12.0439"N		797'45.5032"W		108.077		686513.032		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		51.299		100		-1		8		13.369		0.661		41.189		Yes		9/2/25 9:25		RTK		32		0.98		0.57		0.8		9700		-1339		Yes		RTK		3D		1		2013		0.472		0.394		0.394		1.23				WME		Water Meter

		UP4220		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4220		9/2/25 9:28		3728'15.2779"N		797'43.6760"W		359.561		686872.593		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		100		100		1		12		10.758		1.224		2.877		Yes		9/2/25 9:28		RTK		32		0.97		0.57		0.78		10178		-1339		Yes		RTK		3D		1.2		2013		0.472		0.433		0.394		1.282				WME		Water Meter

		UP4221		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4221		9/2/25 9:29		3728'15.1771"N		797'41.4906"W		176.262		687048.855		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		12.635		100		3		9		9.275		-0.739		22.549		Yes		9/2/25 9:29		RTK		32		0.96		0.57		0.78		10231		-1339		Yes		RTK		3D		1		2013		0.394		0.382		0.394		1.097				WME		Water Meter

		UP4222		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4222		9/2/25 9:30		3728'15.4285"N		797'39.4058"W		169.787		687218.642		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		14.817		100		-3		9		10.825		-0.862		32.203		Yes		9/2/25 9:30		RTK		32		0.96		0.57		0.77		10263		-1339		Yes		RTK		3D		1.2		2013		0.433		0.366		0.394		1.134				WME		Water Meter

		UP4223		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4223		9/2/25 9:33		3728'16.4461"N		797'25.9714"W		1086.617		688305.259		0		UNKNOWN		31		65536		CLASSIC		OMNI PEAK		140		95.147		100		2		13		6.072		-2.056		88.355		Yes		9/2/25 9:33		RTK		31		0.95		0.57		0.76		10548		-1339		Yes		RTK		3D		0.8		2013		0.948		0.759		0.551		2.427				WME		Water Meter

		UP4224		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4224		9/2/25 9:59		3728'14.2361"N		797'29.7023"W		374.846		688680.105		0		UNKNOWN		277		65536		CLASSIC		OMNI PEAK		140		93.795		100		8		8		10.11		-2.913		-66.929		Yes		9/2/25 9:59		RTK		29		1.26		0.67		1.06		10450		-1339		Yes		RTK		3D		1		2013		0.551		0.512		0.472		1.504				WME		Water Meter

		UP4225		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4225		9/2/25 9:59		3728'13.3036"N		797'31.1953"W		152.972		688833.078		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		100		100		-42		6		15.861		-2.317		86.617		Yes		9/2/25 9:59		RTK		31		1.26		0.67		1.06		10338		-1339		Yes		RTK		3D		1.4		2013		0.85		0.591		0.591		2.071				WME		Water Meter

		UP4226		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4226		9/2/25 10:01		3728'11.8443"N		797'33.2321"W		220.942		689054.02		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		100		100		-6		7		11.719		0.658		71.422		Yes		9/2/25 10:01		RTK		32		1.19		0.65		0.99		10183		-1339		Yes		RTK		3D		1.6		2013		0.472		0.394		0.433		1.23				WME		Water Meter

		UP4227		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4227		9/2/25 10:02		3728'11.3621"N		797'34.0651"W		83.018		689137.038		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		48.846		100		22		11		13.196		-1.347		10.762		Yes		9/2/25 10:02		RTK		31		1.19		0.65		0.99		10124		-1339		Yes		RTK		3D		1.4		2013		0.591		0.512		0.512		1.563				WME		Water Meter

		UP4228		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4228		9/2/25 10:03		3728'10.6678"N		797'34.8420"W		94.203		689231.242		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		100		100		3		12		10.996		-2.605		-55.688		Yes		9/2/25 10:03		RTK		31		1.18		0.65		0.99		9964		-1339		Yes		RTK		3D		0.8		2013		0.512		0.512		0.433		1.448				WME		Water Meter

		UP4229		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4229		9/2/25 10:04		3728'11.4311"N		797'32.7068"W		188.559		689419.8		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		15.102		100		0		6		8.031		3.587		22.518		Yes		9/2/25 10:05		RTK		31		1.18		0.64		0.99		10189		-1339		Yes		RTK		3D		1.2		2013		0.551		0.433		0.433		1.402				WME		Water Meter

		UP4230		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4230		9/2/25 10:07		3728'12.5186"N		797'31.2983"W		158.222		689578.023		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		36.516		100		0		13		13.262		-1.764		21.336		Yes		9/2/25 10:07		RTK		31		1.18		0.64		0.99		10307		-1339		Yes		RTK		3D		0.8		2013		3.402		1.27		0.984		7.262				WME		Water Meter

		UP4231		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4231		9/2/25 10:09		3728'13.8791"N		797'29.0149"W		229.897		689807.919		0		UNKNOWN		25		65536		CLASSIC		OMNI PEAK		140		79.165		100		11		12		10.988		3.471		51.136		Yes		9/2/25 10:09		RTK		30		1.18		0.64		0.99		10469		-1339		Yes		RTK		3D		1.4		2013		1.27		1.157		0.709		3.437				WME		Water Meter

		UP4232		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4232		9/2/25 10:13		3728'56.1186"N		797'14.0643"W		0		689807.919		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		59.481		100		0		11		13.109		-4.774		38.379		Yes		9/2/25 10:13		RTK		31		1.11		0.62		0.92		10910		-1339		Yes		RTK		3D		1.6		2013		0.591		0.512		0.433		1.563				WME		Water Meter

		UP4233		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4233		9/2/25 10:14		3728'56.4697"N		797'15.1778"W		96.457		689904.377		0		UNKNOWN		29		65536		CLASSIC		OMNI PEAK		140		100		100		7		12		8.855		-2.145		-87.493		Yes		9/2/25 10:14		RTK		31		1.11		0.62		0.92		10902		-1339		Yes		RTK		3D		1.8		2013		0.759		0.591		0.512		1.923				WME		Water Meter

		UP4234		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4234		9/2/25 10:17		3728'57.1737"N		797'23.4281"W		668.021		690572.398		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		100		100		-3		11		12.049		-0.047		-1.294		Yes		9/2/25 10:17		RTK		32		1.11		0.62		0.92		10963		-1339		Yes		RTK		3D		1		2013		0.85		0.551		0.472		2.027				WME		Water Meter

		UP4235		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4235		9/2/25 10:18		3728'57.1780"N		797'24.8009"W		110.518		690682.916		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		100		100		6		11		12.085		-2.126		-23.25		Yes		9/2/25 10:18		RTK		32		1.11		0.62		0.92		10995		-1339		Yes		RTK		3D		1.6		2013		0.512		0.433		0.394		1.341				WME		Water Meter

		UP4236		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4236		9/2/25 10:20		3728'57.3900"N		797'27.8393"W		245.552		690928.468		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		42.524		100		5		10		12.633		0.119		89.085		Yes		9/2/25 10:20		RTK		32		1.11		0.62		0.92		10943		-1339		Yes		RTK		3D		1.4		2013		0.759		0.551		0.472		1.875				WME		Water Meter

		UP4237		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4237		9/2/25 10:21		3728'57.3906"N		797'27.8418"W		0.204		690928.673		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		50.867		100		-61		10		8.232		2.161		-40.521		Yes		9/2/25 10:21		RTK		32		1.11		0.62		0.92		10934		-1339		Yes		RTK		3D		1.4		2013		1.05		0.948		0.63		2.828				WME		Water Meter

		UP4238		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4238		9/2/25 10:21		3728'57.5574"N		797'29.0823"W		101.293		691029.965		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		100		100		-5		10		9.727		-1.509		61.402		Yes		9/2/25 10:21		RTK		32		1.11		0.62		0.92		10872		-1339		Yes		RTK		3D		1.6		2013		2.207		1.157		0.709		4.985				WME		Water Meter

		UP4239		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4239		9/2/25 10:22		3728'57.7689"N		797'29.8867"W		68.223		691098.188		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		20.053		100		-1		8		10.817		-1.185		-55.633		Yes		9/2/25 10:22		RTK		32		1.11		0.62		0.92		10837		-1339		Yes		RTK		3D		2		2013		0.948		0.591		0.512		2.233				WME		Water Meter

		UP4240		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4240		9/2/25 10:23		3728'57.9754"N		797'31.1162"W		101.172		691199.361		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		28.062		100		0		10		10.464		1.511		-19.47		Yes		9/2/25 10:23		RTK		32		1.11		0.62		0.92		10812		-1339		Yes		RTK		3D		0.8		2013		1.913		1.512		0.748		4.877				WME		Water Meter

		UP4241		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4241		9/2/25 10:23		3728'57.9712"N		797'31.0879"W		2.318		691201.679		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		1		9		16.093		-2.389		4.143		Yes		9/2/25 10:23		RTK		32		1.11		0.62		0.92		10812		-1339		Yes		RTK		3D		1.8		2013		0.672		0.591		0.472		1.789				WME		Water Meter

		UP4242		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4242		9/2/25 10:24		3728'58.1611"N		797'31.6470"W		48.96		691250.639		0		UNKNOWN		195		65536		CLASSIC		OMNI PEAK		140		68.551		100		13		11		10.104		-3.631		-46.89		Yes		9/2/25 10:24		RTK		32		1.27		0.65		1.09		10794		-1339		Yes		RTK		3D		1.2		2013		2.058		1.774		0.827		5.434				WME		Water Meter

		UP4243		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4243		9/2/25 10:26		3728'58.4795"N		797'34.4405"W		227.197		691477.835		0		UNKNOWN		3976		65536		CLASSIC		OMNI PEAK		140		31.705		100		-83		9		4.824		-2.312		-8.858		Yes		9/2/25 10:26		RTK		32		1.1		0.61		0.92		10729		-1339		Yes		RTK		3D		1.4		2013		0.591		0.551		0.433		1.616				WME		Water Meter

		UP4244		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4244		9/2/25 10:26		3728'58.4900"N		797'34.4575"W		1.736		691479.571		0		UNKNOWN		176		65536		CLASSIC		OMNI PEAK		140		23.665		100		-24		10		13.841		0.309		-55.949		Yes		9/2/25 10:26		RTK		32		1.1		0.61		0.92		10728		-1339		Yes		RTK		3D		1.8		2013		0.672		0.591		0.472		1.789				WME		Water Meter

		UP4245		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4245		9/2/25 10:30		3729'1.1091"N		797'44.0026"W		813.059		692292.63		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		15.768		100		6		9		12.327		-0.893		-84.562		Yes		9/2/25 10:30		RTK		32		1.26		0.64		1.08		10664		-1339		Yes		RTK		3D		1.6		2013		0.948		0.672		0.512		2.323				WME		Water Meter

		UP4246		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4246		9/2/25 10:31		3729'1.7736"N		797'45.2630"W		121.822		692414.452		0		UNKNOWN		48		65536		CLASSIC		OMNI PEAK		140		100		100		-6		7		14.886		-1.554		53.622		Yes		9/2/25 10:31		RTK		32		1.25		0.64		1.08		10632		-1339		Yes		RTK		3D		0.8		2013		0.551		0.551		0.433		1.559				WME		Water Meter

		UP4247		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4247		9/2/25 10:32		3729'2.0175"N		797'45.8210"W		51.279		692465.731		0		UNKNOWN		17		65536		CLASSIC		OMNI PEAK		140		100		100		-7		11		10.84		2.119		-13.757		Yes		9/2/25 10:32		RTK		32		1.25		0.64		1.08		10617		-1339		Yes		RTK		3D		0.8		2013		0.948		0.672		0.551		2.323				WME		Water Meter

		UP4248		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4248		9/2/25 10:33		3729'2.5766"N		797'46.9611"W		107.894		692573.625		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		62.593		100		-1		10		12.482		-1.115		-73.749		Yes		9/2/25 10:33		RTK		32		1.15		0.61		0.97		10586		-1339		Yes		RTK		3D		1.2		2013		0.948		0.759		0.551		2.427				WME		Water Meter

		UP4249		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4249		9/2/25 10:34		3729'3.1216"N		797'48.2389"W		116.788		692690.413		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		100		100		1		10		9.379		0.971		-8.55		Yes		9/2/25 10:34		RTK		32		1.07		0.58		0.9		10561		-1339		Yes		RTK		3D		1.2		2013		0.85		0.672		0.551		2.168				WME		Water Meter

		UP4250		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4250		9/2/25 10:35		3729'3.6098"N		797'49.5323"W		115.294		692805.708		0		UNKNOWN		125		65536		CLASSIC		OMNI PEAK		140		100		100		2		10		8.016		1.515		-59.683		Yes		9/2/25 10:35		RTK		32		1.07		0.58		0.9		10578		-1339		Yes		RTK		3D		1		2013		0.551		0.512		0.394		1.504				WME		Water Meter

		UP4251		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4251		9/2/25 10:39		3729'4.5760"N		797'53.2690"W		316.389		693122.097		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		6		6		11.197		-3.621		-12.184		Yes		9/2/25 10:39		RTK		32		1.07		0.58		0.9		10720		-1339		Yes		RTK		3D		0.6		2013		0.948		0.672		0.512		2.323				WME		Water Meter

		UP4252		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4252		9/2/25 10:39		3729'5.4789"N		797'54.2514"W		121.011		693243.107		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		100		100		-4		11		9.709		-1.291		-50.082		Yes		9/2/25 10:39		RTK		32		1.07		0.58		0.9		10759		-1339		Yes		RTK		3D		1.6		2013		1.157		0.85		0.591		2.873				WME		Water Meter

		UP4253		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4253		9/2/25 10:40		3729'5.9554"N		797'54.7593"W		63.321		693306.429		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		9.429		100		-2		11		8.119		0.185		44.59		Yes		9/2/25 10:40		RTK		32		1.07		0.58		0.9		10747		-1339		Yes		RTK		3D		0.6		2013		1.388		0.85		0.591		3.256				WME		Water Meter

		UP4254		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4254		9/2/25 10:41		3729'6.5920"N		797'55.3643"W		80.887		693387.315		0		UNKNOWN		15		65536		CLASSIC		OMNI PEAK		140		100		100		0		9		8.853		-1.669		7.536		Yes		9/2/25 10:41		RTK		32		1.07		0.58		0.9		10722		-1339		Yes		RTK		3D		1.4		2013		1.05		0.759		0.551		2.59				WME		Water Meter

		UP4255		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4255		9/2/25 10:45		3729'12.2209"N		797'54.4679"W		575.6		693962.915		0.001		UNKNOWN		24709		65536		CLASSIC		OMNI PEAK		140		49.553		100		-2		8		11.763		-2.159		75.989		Yes		9/2/25 10:45		RTK		31		1.14		0.6		0.97		10327		-1339		Yes		RTK		3D		0.6		2013		0.433		0.394		0.394		1.171				WME		Water Meter

		UP4256		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4256		9/2/25 10:45		3729'12.5847"N		797'54.4934"W		36.962		693999.877		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		0		9		8.546		0.705		12.589		Yes		9/2/25 10:45		RTK		32		1.14		0.6		0.97		10294		-1339		Yes		RTK		3D		0.8		2013		0.948		0.759		0.551		2.427				WME		Water Meter

		UP4257		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4257		9/2/25 10:46		3729'13.4031"N		797'54.5591"W		83.198		694083.075		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		100		100		-1		13		10.823		-1.054		-64.054		Yes		9/2/25 10:46		RTK		32		1.14		0.6		0.97		10234		-1339		Yes		RTK		3D		1.2		2013		0.85		0.551		0.472		2.027				WME		Water Meter

		UP4258		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4258		9/2/25 10:46		3729'14.2370"N		797'54.6980"W		85.331		694168.407		0		UNKNOWN		21		65536		CLASSIC		OMNI PEAK		140		73.995		100		2		9		10.457		-3.275		-84.734		Yes		9/2/25 10:46		RTK		31		1.14		0.6		0.98		10197		-1339		Yes		RTK		3D		0.6		2013		0.948		0.672		0.551		2.323				WME		Water Meter

		UP4259		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4259		9/2/25 10:47		3729'14.9923"N		797'54.9358"W		78.98		694247.387		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		43.622		100		-1		13		9.531		-0.492		55.8		Yes		9/2/25 10:47		RTK		32		1.23		0.63		1.06		10159		-1339		Yes		RTK		3D		1		2013		1.27		1.05		0.669		3.296				WME		Water Meter

		UP4260		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4260		9/2/25 10:50		3729'15.7288"N		797'55.7324"W		98.464		694345.851		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		0		11		11.402		-0.845		-14.631		Yes		9/2/25 10:50		RTK		32		1.22		0.63		1.05		10057		-1339		Yes		RTK		3D		1		2013		0.512		0.433		0.394		1.341				WME		Water Meter

		UP4261		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4261		9/2/25 10:50		3729'15.7975"N		797'55.7640"W		7.422		694353.274		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		28.909		100		-132		10		14.005		-1.89		47.641		Yes		9/2/25 10:50		RTK		31		1.22		0.63		1.05		10053		-1339		Yes		RTK		3D		1.2		2013		0.512		0.472		0.394		1.393				WME		Water Meter

		UP4262		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4262		9/2/25 10:51		3729'16.6566"N		797'56.9982"W		132.155		694485.429		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		100		100		0		11		11.332		-0.797		-5.12		Yes		9/2/25 10:51		RTK		32		1.15		0.59		0.98		9900		-1339		Yes		RTK		3D		0.8		2013		0.85		0.591		0.512		2.071				WME		Water Meter

		UP4263		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4263		9/2/25 10:52		3729'16.6578"N		797'56.9955"W		0.253		694485.681		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		34.95		100		0		10		11.216		0.847		-47.605		Yes		9/2/25 10:52		RTK		32		1.15		0.59		0.98		9902		-1339		Yes		RTK		3D		1		2013		0.759		0.591		0.472		1.923				WME		Water Meter

		UP4264		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4264		9/2/25 10:52		3729'17.2155"N		797'57.7035"W		80.309		694565.99		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		8		11		10.466		-1.955		68.357		Yes		9/2/25 10:53		RTK		32		1.15		0.59		0.98		9796		-1339		Yes		RTK		3D		1		2013		0.948		0.672		0.512		2.323				WME		Water Meter

		UP4265		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4265		9/2/25 10:56		3729'18.1077"N		797'58.7531"W		123.817		694689.808		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		42.985		100		11		8		10.06		-1.761		-78.13		Yes		9/2/25 10:56		RTK		32		1.15		0.59		0.98		9648		-1339		Yes		RTK		3D		0.6		2013		0.759		0.512		0.472		1.83				WME		Water Meter

		UP4266		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4266		9/2/25 10:57		3729'18.4836"N		797'59.1276"W		48.613		694738.421		0		UNKNOWN		28		65536		CLASSIC		OMNI PEAK		140		74.836		100		-24		8		12.193		-0.999		2.725		Yes		9/2/25 10:57		RTK		32		1.15		0.59		0.98		9632		-1339		Yes		RTK		3D		0.8		2013		1.157		0.85		0.512		2.873				WME		Water Meter

		UP4267		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4267		9/2/25 10:58		3729'19.3220"N		797'59.9904"W		109.809		694848.23		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		2.449		100		2		10		9.71		-3.288		56.144		Yes		9/2/25 10:58		RTK		32		1.07		0.58		0.9		9628		-1339		Yes		RTK		3D		1.2		2013		0.948		0.672		0.551		2.323				WME		Water Meter

		UP4268		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4268		9/2/25 10:59		3729'19.9385"N		798'0.6284"W		80.931		694929.161		0		UNKNOWN		19		65536		CLASSIC		OMNI PEAK		140		100		100		2		5		31.789		1.462		4.202		Yes		9/2/25 10:59		RTK		32		1.14		0.59		0.98		9585		-1339		Yes		RTK		3D		1		2013		0.948		0.759		0.591		2.427				WME		Water Meter

		UP4269		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4269		9/2/25 11:01		3729'20.5589"N		798'1.1866"W		77.333		695006.493		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		100		100		1		11		12.261		0.334		83.892		Yes		9/2/25 11:01		RTK		32		1.14		0.59		0.98		9525		-1339		Yes		RTK		3D		1		2013		0.433		0.394		0.394		1.171				WME		Water Meter

		UP4270		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4270		9/2/25 11:03		3729'21.0880"N		798'1.8151"W		73.759		695080.253		0		UNKNOWN		151		65536		CLASSIC		OMNI PEAK		140		33.264		100		11		8		10.778		-7.493		-9.005		Yes		9/2/25 11:03		RTK		32		1.14		0.59		0.97		9492		-1339		Yes		RTK		3D		1.6		2013		0.512		0.472		0.433		1.393				WME		Water Meter

		UP4271		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4271		9/2/25 11:04		3729'22.0137"N		798'2.4184"W		105.724		695185.976		0		UNKNOWN		103		65536		CLASSIC		OMNI PEAK		140		100		100		18		7		6.257		-4.515		6.814		Yes		9/2/25 11:04		RTK		30		1.17		0.62		0.99		9438		-1339		Yes		RTK		3D		1.6		2013		2.858		2.058		0.866		7.044				WME		Water Meter

		UP4272		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4272		9/2/25 11:04		3729'22.0394"N		798'2.4453"W		3.397		695189.373		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		67.897		100		0		9		13.901		-3.004		6.379		Yes		9/2/25 11:04		RTK		30		1.17		0.62		0.99		9429		-1339		Yes		RTK		3D		1.2		2013		0.948		0.672		0.551		2.323				WME		Water Meter

		UP4273		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4273		9/2/25 11:04		3729'22.0385"N		798'2.4188"W		2.135		695191.507		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		0		10		14.661		-4.34		-41.188		Yes		9/2/25 11:04		RTK		30		1.17		0.62		0.99		9432		-1339		Yes		RTK		3D		0.6		2013		0.85		0.591		0.512		2.071				WME		Water Meter

		UP4274		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4274		9/2/25 11:06		3729'22.0001"N		798'3.2575"W		67.626		695259.133		0		UNKNOWN		27		65536		CLASSIC		OMNI PEAK		140		100		100		11		6		11.121		0.272		-89.156		Yes		9/2/25 11:06		RTK		30		1.16		0.62		0.99		9408		-1338		Yes		RTK		3D		0.8		2013		2.058		1.05		0.709		4.62				WME		Water Meter

		UP4275		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4275		9/2/25 11:07		3729'21.5871"N		798'3.5645"W		48.645		695307.778		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		100		100		-5		8		14.278		1.859		-31.555		Yes		9/2/25 11:07		RTK		30		1.16		0.62		0.99		9397		-1338		Yes		RTK		3D		1.4		2013		1.388		1.05		0.63		3.481				WME		Water Meter

		UP4276		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4276		9/2/25 11:08		3729'21.4861"N		798'3.3185"W		22.296		695330.074		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		100		100		0		11		14.428		0.251		27.832		Yes		9/2/25 11:08		RTK		30		1.16		0.62		0.98		9422		-1338		Yes		RTK		3D		1.2		2013		0.759		0.551		0.472		1.875				WME		Water Meter

		UP4277		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4277		9/2/25 11:08		3729'21.2790"N		798'3.2060"W		22.88		695352.954		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		26.604		100		-5		9		16.811		-1.438		13.558		Yes		9/2/25 11:08		RTK		30		1.16		0.62		0.98		9435		-1338		Yes		RTK		3D		1.4		2013		0.433		0.319		0.394		1.076				WME		Water Meter

		UP4278		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4278		9/2/25 11:09		3729'21.4869"N		798'3.3223"W		23.079		695376.033		0		UNKNOWN		73		65536		CLASSIC		OMNI PEAK		140		27.281		100		1		10		12.694		-0.878		-14.917		Yes		9/2/25 11:09		RTK		29		1.16		0.62		0.98		9424		-1338		Yes		RTK		3D		1.4		2013		0.472		0.378		0.394		1.21				WME		Water Meter

		UP4279		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4279		9/2/25 11:09		3729'21.2778"N		798'3.2080"W		23.122		695399.155		0		UNKNOWN		55		65536		CLASSIC		OMNI PEAK		140		18.427		100		3		11		3.895		-0.346		21.43		Yes		9/2/25 11:10		RTK		31		1.13		0.59		0.96		9438		-1338		Yes		RTK		3D		1.4		2013		0.382		0.291		0.394		0.961				WME		Water Meter

		UP4280		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4280		9/2/25 11:10		3729'20.4374"N		798'2.0617"W		125.635		695524.789		0		UNKNOWN		23		65536		CLASSIC		OMNI PEAK		140		34.37		100		-13		10		10.914		-3.846		-68.638		Yes		9/2/25 11:10		RTK		30		1.13		0.59		0.96		9500		-1339		Yes		RTK		3D		1.2		2013		1.157		1.05		0.63		3.125				WME		Water Meter

		UP4281		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4281		9/2/25 11:10		3729'20.0435"N		798'1.6589"W		51.457		695576.246		0		UNKNOWN		42		65536		CLASSIC		OMNI PEAK		140		14.781		100		-10		10		10.658		0.42		-35.467		Yes		9/2/25 11:10		RTK		31		1.13		0.59		0.96		9539		-1339		Yes		RTK		3D		1		2013		0.472		0.433		0.394		1.282				WME		Water Meter

		UP4282		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4282		9/2/25 11:12		3729'19.3759"N		798'1.0201"W		85.041		695661.288		0		UNKNOWN		21		65536		CLASSIC		OMNI PEAK		140		23.743		100		26		10		9.958		-1.653		46.371		Yes		9/2/25 11:12		RTK		32		1.13		0.6		0.96		9601		-1339		Yes		RTK		3D		0.8		2013		0.433		0.374		0.394		1.144				WME		Water Meter

		UP4283		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4283		9/2/25 11:12		3729'18.8786"N		798'0.5004"W		65.537		695726.825		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		12.567		100		-19		11		11.226		-0.315		47.189		Yes		9/2/25 11:13		RTK		32		1.12		0.6		0.95		9634		-1339		Yes		RTK		3D		1.4		2013		0.85		0.551		0.512		2.027				WME		Water Meter

		UP4284		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4284		9/2/25 11:13		3729'18.1046"N		797'59.6828"W		102.461		695829.286		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		1.682		100		-13		10		6.907		-0.557		83.52		Yes		9/2/25 11:13		RTK		32		1.12		0.6		0.95		9641		-1339		Yes		RTK		3D		0.8		2013		0.551		0.512		0.433		1.504				WME		Water Meter

		UP4285		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4285		9/2/25 11:15		3729'17.6382"N		797'59.1981"W		61.324		695890.61		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		2.563		100		-23		4		9.801		-0.967		-24.839		Yes		9/2/25 11:15		RTK		31		1.12		0.6		0.95		9665		-1339		Yes		RTK		3D		0.6		2013		0.551		0.472		0.433		1.452				WME		Water Meter

		UP4286		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4286		9/2/25 11:15		3729'16.9486"N		797'58.4828"W		90.613		695981.223		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		22.261		100		6		9		15.169		-1.227		-23.598		Yes		9/2/25 11:15		RTK		31		1.21		0.62		1.03		9775		-1339		Yes		RTK		3D		1.8		2013		0.512		0.433		0.394		1.341				WME		Water Meter

		UP4287		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4287		9/2/25 11:16		3729'16.3892"N		797'57.8075"W		78.584		696059.807		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		100		100		-5		7		8.833		-1.101		-28.164		Yes		9/2/25 11:16		RTK		32		1.12		0.6		0.94		9867		-1339		Yes		RTK		3D		0.8		2013		0.591		0.394		0.394		1.42				WME		Water Meter

		UP4288		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4288		9/2/25 11:20		3729'15.7580"N		797'56.9568"W		93.753		696153.56		0		UNKNOWN		390		65536		CLASSIC		OMNI PEAK		140		20.01		100		-20		11		11.232		0.333		4.861		Yes		9/2/25 11:20		RTK		32		1		0.56		0.83		9973		-1339		Yes		RTK		3D		0.6		2013		0.472		0.339		0.394		1.162				WME		Water Meter

		UP4289		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4289		9/2/25 11:20		3729'15.3162"N		797'56.2838"W		70.314		696223.875		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		42.96		100		0		12		12.354		-3.447		-84.166		Yes		9/2/25 11:20		RTK		32		1		0.56		0.83		10050		-1339		Yes		RTK		3D		1		2013		0.85		0.759		0.551		2.279				WME		Water Meter

		UP4290		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4290		9/2/25 11:22		3729'13.9208"N		797'55.4193"W		157.752		696381.627		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		100		100		4		12		11.563		-1.689		-36.394		Yes		9/2/25 11:22		RTK		31		1.1		0.6		0.92		10161		-1339		Yes		RTK		3D		0.8		2013		0.472		0.394		0.394		1.23				WME		Water Meter

		UP4291		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4291		9/2/25 11:22		3729'13.2529"N		797'55.3795"W		67.828		696449.455		0		UNKNOWN		75		65536		CLASSIC		OMNI PEAK		140		95.241		100		0		12		13.272		-0.087		59.466		Yes		9/2/25 11:22		RTK		30		1.07		0.59		0.89		10192		-1339		Yes		RTK		3D		1.8		2013		0.759		0.472		0.433		1.787				WME		Water Meter

		UP4292		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4292		9/2/25 11:23		3729'12.1191"N		797'55.2850"W		115.276		696564.731		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		49.063		100		8		8		12.581		-0.846		-15.433		Yes		9/2/25 11:23		RTK		32		0.99		0.56		0.82		10320		-1339		Yes		RTK		3D		1.2		2013		0.512		0.394		0.394		1.291				WME		Water Meter

		UP4293		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4293		9/2/25 11:26		3729'10.9368"N		797'55.1579"W		120.38		696685.111		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		100		100		-4		10		14.371		3.762		57.236		Yes		9/2/25 11:26		RTK		32		1.06		0.59		0.88		10429		-1339		Yes		RTK		3D		1.6		2013		1.64		1.512		0.906		4.462				WME		Water Meter

		UP4294		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4294		9/2/25 11:27		3729'9.9924"N		797'55.1334"W		95.832		696780.943		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		96.828		100		-15		10		10.184		2.204		78.983		Yes		9/2/25 11:27		RTK		30		1.06		0.59		0.88		10494		-1339		Yes		RTK		3D		1		2013		0.591		0.472		0.433		1.513				WME		Water Meter

		UP4295		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4295		9/2/25 11:52		3729'7.8200"N		797'57.7756"W		306.293		697087.236		0		UNKNOWN		17		65536		CLASSIC		OMNI PEAK		140		100		100		-1		11		9.76		-0.293		-47.505		Yes		9/2/25 11:52		RTK		32		1.06		0.62		0.86		10627		-1339		Yes		RTK		3D		0.6		2013		0.551		0.512		0.472		1.504				WME		Water Meter

		UP4296		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4296		9/2/25 11:53		3729'7.8870"N		797'58.7519"W		78.884		697166.12		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		68.273		100		-19		10		13.018		0.566		-3.565		Yes		9/2/25 11:53		RTK		32		1.01		0.59		0.82		10582		-1339		Yes		RTK		3D		1.4		2013		1.774		1.05		0.787		4.123				WME		Water Meter

		UP4297		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4297		9/2/25 11:54		3729'8.1452"N		798'0.2365"W		122.35		697288.471		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		140		100		100		-6		11		12.185		-0.986		14.519		Yes		9/2/25 11:55		RTK		32		1.01		0.59		0.82		10497		-1339		Yes		RTK		3D		1.2		2013		0.551		0.512		0.472		1.504				WME		Water Meter

		UP4298		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4298		9/2/25 11:55		3729'8.3579"N		798'2.0699"W		149.155		697437.626		0		UNKNOWN		30		65536		CLASSIC		OMNI PEAK		140		100		100		0		11		13.647		-1.098		19.447		Yes		9/2/25 11:55		RTK		31		1.04		0.6		0.85		10362		-1338		Yes		RTK		3D		1.4		2013		1.05		0.591		0.63		2.409				WME		Water Meter

		UP4299		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4299		9/2/25 11:56		3729'8.7759"N		798'3.3100"W		108.464		697546.09		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		21.09		100		0		12		14.107		-2.554		-89.529		Yes		9/2/25 11:56		RTK		32		1.08		0.63		0.88		10277		-1338		Yes		RTK		3D		2		2013		2.362		1.774		0.63		5.909				WME		Water Meter

		UP4300		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4300		9/2/25 11:58		3729'9.5606"N		798'4.4495"W		121.457		697667.547		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		40.87		100		0		11		16.96		-7.961		-37.619		Yes		9/2/25 11:58		RTK		32		1.02		0.61		0.82		10188		-1338		Yes		RTK		3D		0.8		2013		0.433		0.366		0.394		1.134				WME		Water Meter

		UP4301		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4301		9/2/25 12:00		3729'10.4700"N		798'5.2090"W		110.684		697778.231		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		69.55		100		2		11		9.896		-1.19		47.965		Yes		9/2/25 12:00		RTK		32		0.96		0.58		0.77		10096		-1338		Yes		RTK		3D		0.6		2013		1.388		0.672		0.669		3.085				WME		Water Meter

		UP4302		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4302		9/2/25 12:01		3729'11.0574"N		798'5.6851"W		70.85		697849.081		0		UNKNOWN		24		65536		CLASSIC		OMNI PEAK		140		100		100		0		13		10.586		-1.921		54.124		Yes		9/2/25 12:01		RTK		31		0.96		0.57		0.77		10041		-1338		Yes		RTK		3D		0.8		2013		1.512		1.157		0.709		3.808				WME		Water Meter

		UP4303		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4303		9/2/25 12:01		3729'11.8410"N		798'6.4576"W		100.926		697950.007		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		100		100		6		6		8.024		-1.894		34.129		Yes		9/2/25 12:01		RTK		31		0.98		0.58		0.79		9952		-1338		Yes		RTK		3D		1		2013		1.157		0.948		0.63		2.992				WME		Water Meter

		UP4304		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4304		9/2/25 12:03		3729'12.8826"N		798'7.4146"W		130.775		698080.782		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		100		100		3		11		10.157		4.276		-40.102		Yes		9/2/25 12:03		RTK		32		1.04		0.64		0.83		9905		-1338		Yes		RTK		3D		1		2013		0.759		0.551		0.472		1.875				WME		Water Meter

		UP4305		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4305		9/2/25 12:04		3729'13.9310"N		798'8.1593"W		122.094		698202.876		0		UNKNOWN		17		65536		CLASSIC		OMNI PEAK		140		100		100		27		11		12.91		-7.024		38.77		Yes		9/2/25 12:04		RTK		31		0.97		0.58		0.78		9856		-1338		Yes		RTK		3D		1.2		2013		1.913		0.948		0.63		4.27				WME		Water Meter

		UP4306		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4306		9/2/25 12:05		3729'15.5170"N		798'9.7799"W		207.142		698410.018		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		98.595		100		1		11		12.599		-2.026		-42.442		Yes		9/2/25 12:06		RTK		31		1.03		0.62		0.83		9739		-1338		Yes		RTK		3D		1		2013		1.64		0.948		0.669		3.789				WME		Water Meter

		UP4307		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4307		9/2/25 12:06		3729'15.4996"N		798'9.7515"W		2.885		698412.903		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		100		100		0		10		13.526		-2.826		1.889		Yes		9/2/25 12:06		RTK		32		1.06		0.62		0.85		9739		-1338		Yes		RTK		3D		1.2		2013		0.512		0.433		0.394		1.341				WME		Water Meter

		UP4308		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4308		9/2/25 12:10		3729'16.9632"N		798'10.8747"W		173.843		698586.746		0		UNKNOWN		59		65536		CLASSIC		OMNI PEAK		140		75.536		100		1		10		11.285		-4.584		-23.559		Yes		9/2/25 12:10		RTK		31		1.08		0.62		0.89		9758		-1338		Yes		RTK		3D		0.8		2013		0.759		0.591		0.512		1.923				WME		Water Meter

		UP4309		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4309		9/2/25 12:10		3729'17.9425"N		798'11.7942"W		123.889		698710.635		0		UNKNOWN		80		65536		CLASSIC		OMNI PEAK		140		97.078		100		-34		6		5.367		1.576		-50.765		Yes		9/2/25 12:10		RTK		31		1.08		0.62		0.89		9740		-1338		Yes		RTK		3D		0.6		2013		0.759		0.433		0.472		1.747				WME		Water Meter

		UP4310		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4310		9/2/25 12:11		3729'18.6866"N		798'12.4893"W		93.971		698804.606		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		9.393		100		9		11		13.76		-4.578		18.692		Yes		9/2/25 12:11		RTK		31		1.16		0.65		0.96		9651		-1338		Yes		RTK		3D		1		2013		0.472		0.433		0.394		1.282				WME		Water Meter

		UP4311		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4311		9/2/25 12:12		3729'19.5437"N		798'13.1698"W		102.771		698907.377		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		100		100		1		12		10.211		-0.43		31.365		Yes		9/2/25 12:12		RTK		31		1.08		0.62		0.89		9514		-1338		Yes		RTK		3D		1		2013		0.472		0.433		0.394		1.282				WME		Water Meter

		UP4312		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4312		9/2/25 12:14		3729'20.2681"N		798'13.8681"W		92.52		698999.897		0		UNKNOWN		46		65536		CLASSIC		OMNI PEAK		140		45.255		100		-7		10		20.035		-5.718		34.448		Yes		9/2/25 12:14		RTK		32		1.12		0.63		0.93		9444		-1338		Yes		RTK		3D		1.4		2013		0.85		0.591		0.669		2.071				WME		Water Meter

		UP4313		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4313		9/2/25 12:15		3729'20.9086"N		798'14.6079"W		88.138		699088.035		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		90.389		100		-12		9		7.037		-0.545		-36.251		Yes		9/2/25 12:15		RTK		32		1.12		0.63		0.93		9442		-1338		Yes		RTK		3D		1.2		2013		1.05		0.591		0.551		2.409				WME		Water Meter

		UP4314		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4314		9/2/25 12:16		3729'21.7623"N		798'15.3029"W		103.113		699191.148		0		UNKNOWN		28		65536		CLASSIC		OMNI PEAK		140		95.925		100		4		10		11.016		-0.772		-16.538		Yes		9/2/25 12:16		RTK		32		1.12		0.62		0.93		9555		-1338		Yes		RTK		3D		0.8		2013		0.948		0.672		0.63		2.323				WME		Water Meter

		UP4315		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4315		9/2/25 12:16		3729'22.5332"N		798'15.9670"W		94.725		699285.873		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		7.297		100		15		5		7.696		0.893		-87.49		Yes		9/2/25 12:16		RTK		31		1.17		0.64		0.98		9637		-1338		Yes		RTK		3D		1.4		2013		0.672		0.551		0.551		1.738				WME		Water Meter

		UP4316		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4316		9/2/25 12:17		3729'23.4714"N		798'16.8914"W		120.813		699406.686		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		18.615		100		0		12		11.485		0.782		56.26		Yes		9/2/25 12:17		RTK		31		0.98		0.57		0.81		9665		-1338		Yes		RTK		3D		1.2		2013		0.591		0.591		0.551		1.67				WME		Water Meter

		UP4317		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4317		9/2/25 12:18		3729'24.2624"N		798'17.5364"W		95.584		699502.27		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		83.61		100		2		8		8.881		-2.942		-12.854		Yes		9/2/25 12:18		RTK		32		1.09		0.61		0.9		9645		-1338		Yes		RTK		3D		0.6		2013		0.85		0.551		0.63		2.027				WME		Water Meter

		UP4318		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4318		9/2/25 12:18		3729'24.7064"N		798'18.1133"W		64.698		699566.968		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		100		14		8		11.237		-1.81		67.259		Yes		9/2/25 12:18		RTK		32		1.15		0.67		0.93		9603		-1338		Yes		RTK		3D		0.6		2013		1.05		0.672		0.748		2.493				WME		Water Meter

		UP4319		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4319		9/2/25 12:19		3729'23.9501"N		798'18.3846"W		79.783		699646.751		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		56.388		100		13		9		13.363		2.163		83.557		Yes		9/2/25 12:19		RTK		32		1.08		0.61		0.89		9642		-1338		Yes		RTK		3D		1.8		2013		0.591		0.551		0.512		1.616				WME		Water Meter

		UP4320		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4320		9/2/25 12:20		3729'23.0111"N		798'17.4298"W		122.404		699769.156		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		100		100		-3		9		4.621		1.788		-50.431		Yes		9/2/25 12:20		RTK		32		1.25		0.65		1.06		9671		-1338		Yes		RTK		3D		1		2013		1.512		0.759		0.669		3.383				WME		Water Meter

		UP4321		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4321		9/2/25 12:24		3729'20.6836"N		798'20.8337"W		361.714		700130.869		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		12.813		100		-1		11		6.843		-1.269		63.77		Yes		9/2/25 12:24		RTK		31		1.14		0.61		0.96		9503		-1338		Yes		RTK		3D		1.2		2013		0.591		0.433		0.551		1.465				WME		Water Meter

		UP4322		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4322		9/2/25 12:25		3729'20.1043"N		798'21.8280"W		99.298		700230.168		0		UNKNOWN		16		65536		CLASSIC		OMNI PEAK		140		87.28		100		2		10		4.786		-2.408		20.435		Yes		9/2/25 12:25		RTK		31		1.06		0.59		0.88		9416		-1338		Yes		RTK		3D		1.2		2013		1.157		0.85		0.669		2.873				WME		Water Meter

		UP4323		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4323		9/2/25 12:25		3729'19.7711"N		798'22.5765"W		69.081		700299.249		0		UNKNOWN		31		65536		CLASSIC		OMNI PEAK		140		95.568		100		-27		9		18.467		-0.175		54.462		Yes		9/2/25 12:25		RTK		31		1.14		0.61		0.96		9389		-1338		Yes		RTK		3D		0.8		2013		0.472		0.433		0.433		1.282				WME		Water Meter

		UP4324		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4324		9/2/25 12:26		3729'19.4589"N		798'23.3561"W		70.296		700369.545		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		140		100		100		-1		12		11.755		0.226		-50.89		Yes		9/2/25 12:26		RTK		32		1.06		0.59		0.88		9342		-1338		Yes		RTK		3D		1.4		2013		0.512		0.472		0.512		1.393				WME		Water Meter

		UP4325		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4325		9/2/25 12:31		3729'19.3854"N		798'20.8122"W		204.912		700574.458		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		100		11		12		11.938		-4.498		-10.504		Yes		9/2/25 12:31		RTK		32		1.12		0.59		0.95		9372		-1338		Yes		RTK		3D		1.2		2013		0.85		0.591		0.551		2.071				WME		Water Meter

		UP4326		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4326		9/2/25 12:31		3729'18.4913"N		798'20.1087"W		106.937		700681.395		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		-12		11		8.976		-1.53		15.372		Yes		9/2/25 12:31		RTK		32		1.12		0.59		0.95		9227		-1338		Yes		RTK		3D		1		2013		0.472		0.394		0.394		1.23				WME		Water Meter

		UP4327		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4327		9/2/25 12:33		3729'17.0135"N		798'18.7013"W		187.912		700869.307		0		UNKNOWN		44		65536		CLASSIC		OMNI PEAK		140		93.31		100		-6		11		6.17		6.275		4.806		Yes		9/2/25 12:33		RTK		32		1.04		0.56		0.88		9302		-1338		Yes		RTK		3D		1.4		2013		1.05		0.85		0.591		2.702				WME		Water Meter

		UP4328		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4328		9/2/25 12:33		3729'16.2268"N		798'18.1699"W		90.556		700959.863		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		100		100		9		9		8.838		-2.031		49.698		Yes		9/2/25 12:33		RTK		32		1.04		0.56		0.88		9434		-1338		Yes		RTK		3D		0.8		2013		0.759		0.551		0.551		1.875				WME		Water Meter

		UP4329		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4329		9/2/25 12:34		3729'15.5280"N		798'17.4116"W		93.553		701053.416		0		UNKNOWN		18		65536		CLASSIC		OMNI PEAK		140		69.744		100		-7		8		10.579		1.952		-54.038		Yes		9/2/25 12:34		RTK		32		1.12		0.58		0.95		9487		-1338		Yes		RTK		3D		0.8		2013		0.551		0.512		0.472		1.504				WME		Water Meter

		UP4330		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4330		9/2/25 12:35		3729'14.4136"N		798'15.9007"W		166.055		701219.471		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		100		100		0		12		3.87		1.6		-45.099		Yes		9/2/25 12:35		RTK		32		1.12		0.58		0.96		9489		-1338		Yes		RTK		3D		1.6		2013		0.672		0.551		0.512		1.738				WME		Water Meter

		UP4331		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4331		9/2/25 12:35		3729'15.4514"N		798'16.4275"W		113.506		701332.977		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		37.659		100		0		11		21.246		-1.079		-38.645		Yes		9/2/25 12:35		RTK		32		1.12		0.58		0.96		9543		-1338		Yes		RTK		3D		0.6		2013		0.512		0.472		0.433		1.393				WME		Water Meter

		UP4332		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4332		9/2/25 12:37		3729'16.8653"N		798'17.7932"W		180.719		701513.696		0		UNKNOWN		29		65536		CLASSIC		OMNI PEAK		140		81.279		100		-3		8		16.173		3.104		18.215		Yes		9/2/25 12:37		RTK		32		1.12		0.58		0.96		9401		-1338		Yes		RTK		3D		1.2		2013		0.85		0.551		0.551		2.027				WME		Water Meter

		UP4333		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4333		9/2/25 12:37		3729'17.3699"N		798'18.2097"W		61.195		701574.891		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		-2		11		8.64		0.542		60.099		Yes		9/2/25 12:37		RTK		32		1.05		0.56		0.89		9314		-1338		Yes		RTK		3D		1.4		2013		0.85		0.551		0.512		2.027				WME		Water Meter

		UP4334		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4334		9/2/25 12:39		3729'18.8651"N		798'19.6298"W		189.939		701764.83		0		UNKNOWN		14		65536		CLASSIC		OMNI PEAK		140		91.37		100		3		8		9.229		1.105		5.373		Yes		9/2/25 12:39		RTK		32		1.07		0.58		0.91		9267		-1338		Yes		RTK		3D		1		2013		2.058		0.85		0.709		4.453				WME		Water Meter

		UP4335		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4335		9/2/25 12:41		3729'20.4512"N		798'19.9852"W		163.432		701928.263		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		60.117		100		-9		10		8.779		-0.25		-6.068		Yes		9/2/25 12:41		RTK		32		0.99		0.53		0.83		9517		-1338		Yes		RTK		3D		1.4		2013		0.672		0.512		0.512		1.689				WME		Water Meter

		UP4336		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4336		9/2/25 12:44		3729'21.6920"N		798'16.2950"W		322.622		702250.885		0		UNKNOWN		282		65536		CLASSIC		OMNI PEAK		140		36.152		100		2		10		14.129		-1.013		82.391		Yes		9/2/25 12:44		RTK		31		1.08		0.56		0.93		9562		-1338		Yes		RTK		3D		0.8		2013		0.394		0.346		0.394		1.049				WME		Water Meter

		UP4337		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4337		9/2/25 12:44		3729'21.0365"N		798'15.6542"W		84.164		702335.049		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		95.272		100		-49		9		10.74		-3.097		9.127		Yes		9/2/25 12:44		RTK		32		1.16		0.58		1		9459		-1338		Yes		RTK		3D		1.8		2013		0.672		0.512		0.472		1.689				WME		Water Meter

		UP4338		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4338		9/2/25 12:44		3729'20.4796"N		798'15.1095"W		71.52		702406.569		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		34.06		100		0		12		10.681		-4.763		82.408		Yes		9/2/25 12:44		RTK		32		1.09		0.56		0.93		9414		-1338		Yes		RTK		3D		0.8		2013		0.512		0.433		0.433		1.341				WME		Water Meter

		UP4339		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4339		9/2/25 12:45		3729'19.6516"N		798'14.3434"W		104.203		702510.773		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		93.674		100		6		10		7.54		-0.681		-5.363		Yes		9/2/25 12:45		RTK		32		1.09		0.56		0.93		9435		-1338		Yes		RTK		3D		1		2013		0.551		0.472		0.433		1.452				WME		Water Meter

		UP4340		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4340		9/2/25 12:46		3729'18.6482"N		798'13.2812"W		132.947		702643.719		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		4.347		100		1		9		18.493		-1.879		6.27		Yes		9/2/25 12:46		RTK		32		1.09		0.56		0.93		9606		-1338		Yes		RTK		3D		1.2		2013		0.382		0.303		0.394		0.975				WME		Water Meter

		UP4341		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4341		9/2/25 12:46		3729'18.0862"N		798'12.7788"W		69.897		702713.617		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		100		100		0		9		8.519		-1.63		-48.674		Yes		9/2/25 12:46		RTK		32		1.09		0.56		0.93		9688		-1338		Yes		RTK		3D		1.8		2013		0.433		0.374		0.394		1.144				WME		Water Meter

		UP4342		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4342		9/2/25 12:47		3729'17.0116"N		798'11.8231"W		133.427		702847.044		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		1		7		5.844		-0.218		27.174		Yes		9/2/25 12:47		RTK		32		1.09		0.56		0.93		9736		-1338		Yes		RTK		3D		1		2013		0.472		0.374		0.394		1.205				WME		Water Meter

		UP4343		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4343		9/2/25 12:47		3729'16.3169"N		798'11.1322"W		89.781		702936.825		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		140		43.357		100		0		12		6.49		-2.306		26.348		Yes		9/2/25 12:47		RTK		32		1.17		0.58		1.02		9729		-1338		Yes		RTK		3D		0.4		2013		0.358		0.331		0.394		0.975				WME		Water Meter

		UP4344		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4344		9/2/25 12:48		3729'15.1820"N		798'10.2055"W		137.195		703074.02		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		100		100		0		13		9.732		-0.252		7.507		Yes		9/2/25 12:48		RTK		32		1.09		0.56		0.94		9712		-1338		Yes		RTK		3D		1.2		2013		0.472		0.433		0.433		1.282				WME		Water Meter

		UP4345		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4345		9/2/25 12:48		3729'14.5705"N		798'9.7717"W		71.185		703145.205		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		36.277		100		8		10		9.381		1.593		-6.827		Yes		9/2/25 12:48		RTK		32		1.09		0.56		0.94		9729		-1338		Yes		RTK		3D		1.2		2013		0.551		0.433		0.433		1.402				WME		Water Meter

		UP4346		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4346		9/2/25 12:49		3729'13.8389"N		798'9.0337"W		95.074		703240.279		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		21.29		100		0		12		8.036		4.231		88.567		Yes		9/2/25 12:49		RTK		32		1.18		0.58		1.02		9798		-1338		Yes		RTK		3D		0.8		2013		1.157		0.948		0.669		2.992				WME		Water Meter

		UP4347		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4347		9/2/25 12:50		3729'13.1644"N		798'8.4322"W		83.82		703324.099		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		100		-14		12		8.748		-0.302		-2.913		Yes		9/2/25 12:50		FLOAT RTK		32		1.09		0.56		0.94		9855		-1338		Yes		FLOAT RTK		3D		0.6		2013		2.761		2.209		0.394		7.071				WME		Water Meter

		UP4348		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4348		9/2/25 12:50		3729'12.6165"N		798'7.8766"W		71.348		703395.447		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		100		100		3		10		10.721		-0.831		-4.51		Yes		9/2/25 12:50		RTK		32		1.09		0.56		0.94		9879		-1338		Yes		RTK		3D		1		2013		0.759		0.512		0.433		1.83				WME		Water Meter

		UP4349		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4349		9/2/25 12:51		3729'11.7899"N		798'7.1951"W		100.214		703495.661		0		UNKNOWN		52		65536		CLASSIC		OMNI PEAK		140		68.414		100		-10		8		8.113		0.219		7.081		Yes		9/2/25 12:51		FLOAT RTK		32		1.14		0.58		0.98		9917		-1338		Yes		FLOAT RTK		3D		0.6		2013		8.467		3.681		1.102		18.464				WME		Water Meter

		UP4350		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4350		9/2/25 12:51		3729'10.6762"N		798'6.1926"W		138.841		703634.502		0		UNKNOWN		16		65536		CLASSIC		OMNI PEAK		140		100		100		-9		5		10.663		3.013		42.381		Yes		9/2/25 12:51		RTK		32		1.14		0.58		0.98		10021		-1338		Yes		RTK		3D		0.4		2013		1.64		0.672		0.669		3.545				WME		Water Meter

		UP4351		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4351		9/2/25 12:52		3729'10.1426"N		798'5.7752"W		63.72		703698.222		0		UNKNOWN		56		65536		CLASSIC		OMNI PEAK		140		60.336		100		1		12		10.831		1.553		-46.23		Yes		9/2/25 12:52		RTK		32		1.28		0.61		1.12		10066		-1338		Yes		RTK		3D		1		2013		0.512		0.433		0.472		1.341				WME		Water Meter

		UP4352		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4352		9/2/25 12:52		3729'9.4237"N		798'5.1984"W		86.457		703784.679		0		UNKNOWN		43		65536		CLASSIC		OMNI PEAK		140		100		100		6		7		7.321		-1.338		-69.939		Yes		9/2/25 12:53		RTK		31		1.14		0.58		0.98		10136		-1338		Yes		RTK		3D		1		2013		1.27		0.759		0.669		2.959				WME		Water Meter

		UP4353		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4353		9/2/25 12:53		3729'8.6665"N		798'4.2249"W		109.74		703894.419		0		UNKNOWN		19		65536		CLASSIC		OMNI PEAK		140		94.895		100		22		9		8.342		0.184		-47.259		Yes		9/2/25 12:53		RTK		31		1.1		0.56		0.94		10224		-1338		Yes		RTK		3D		1.2		2013		0.948		0.591		0.669		2.233				WME		Water Meter

		UP4354		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4354		9/2/25 12:54		3729'8.2153"N		798'3.2909"W		88.022		703982.44		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		76.074		100		0		10		8.091		-0.413		-37.608		Yes		9/2/25 12:54		RTK		32		1.1		0.56		0.94		10278		-1338		Yes		RTK		3D		1.8		2013		4.412		2.522		1.693		10.164				WME		Water Meter

		UP4355		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4355		9/2/25 12:54		3729'7.8785"N		798'1.8449"W		121.318		704103.758		0		UNKNOWN		15		65536		CLASSIC		OMNI PEAK		140		85.932		100		3		8		12.12		4.185		22.636		Yes		9/2/25 12:54		RTK		32		1.19		0.58		1.04		10388		-1339		Yes		RTK		3D		1.6		2013		0.948		0.551		0.591		2.192				WME		Water Meter

		UP4356		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4356		9/2/25 12:54		3729'7.7245"N		798'0.8402"W		82.374		704186.132		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		2		12		16.839		-5.56		-24.169		Yes		9/2/25 12:55		RTK		32		1.1		0.56		0.94		10460		-1339		Yes		RTK		3D		0.8		2013		0.85		0.591		0.591		2.071				WME		Water Meter

		UP4357		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4357		9/2/25 12:55		3729'7.4945"N		797'59.1866"W		135.152		704321.284		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		80.727		100		-12		9		10.622		4.384		44.393		Yes		9/2/25 12:55		RTK		32		1.19		0.58		1.04		10566		-1339		Yes		RTK		3D		1.6		2013		0.433		0.362		0.394		1.129				WME		Water Meter

		UP4358		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4358		9/2/25 12:56		3729'7.0047"N		797'56.5559"W		217.53		704538.814		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		69.819		100		-1		8		9.761		-1.492		17.976		Yes		9/2/25 12:56		RTK		32		1.1		0.56		0.94		10681		-1339		Yes		RTK		3D		0.4		2013		1.05		0.759		0.709		2.59				WME		Water Meter

		UP4359		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4359		9/2/25 12:57		3729'5.7396"N		797'55.2923"W		163.767		704702.581		0		UNKNOWN		98		65536		CLASSIC		OMNI PEAK		140		31.611		100		7		8		10.679		1.332		-12.542		Yes		9/2/25 12:57		RTK		32		1.2		0.58		1.05		10728		-1339		Yes		RTK		3D		1.4		2013		0.512		0.472		0.472		1.393				WME		Water Meter

		UP4360		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4360		9/2/25 12:57		3729'5.0388"N		797'54.6005"W		90.306		704792.887		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		27.292		100		6		11		7.297		3.012		-7.531		Yes		9/2/25 12:57		RTK		32		1.2		0.58		1.05		10739		-1339		Yes		RTK		3D		1.2		2013		1.27		0.948		0.669		3.17				WME		Water Meter

		UP4361		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4361		9/3/25 7:32		3728'55.9477"N		798'29.6577"W		2969.119		707762.006		0		UNKNOWN		250		65536		CLASSIC		OMNI PEAK		140		11.54		100		-24		8		11.918		0.036		-70.306		Yes		9/3/25 7:32		RTK		31		1.02		0.52		0.87		9811		-1338		Yes		RTK		3D		1.8		2970		1.05		0.512		0.63		2.336				WME		Water Meter

		UP4362		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4362		9/3/25 7:32		3728'55.9500"N		798'29.6056"W		4.201		707766.207		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		5.038		100		-1		13		12.59		-1.326		85.743		Yes		9/3/25 7:32		RTK		31		1.02		0.52		0.88		9808		-1338		Yes		RTK		3D		1.4		2970		0.512		0.433		0.394		1.341				WME		Water Meter

		UP4363		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4363		9/3/25 7:34		3728'56.3825"N		798'34.4257"W		390.517		708156.724		0		UNKNOWN		105		65536		CLASSIC		OMNI PEAK		140		21.291		100		-1		3		17.178		-0.902		-21.698		Yes		9/3/25 7:34		RTK		32		0.99		0.51		0.85		9871		-1338		Yes		RTK		3D		2		2970		0.472		0.433		0.433		1.282				WME		Water Meter

		UP4364		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4364		9/3/25 7:35		3728'58.0629"N		798'38.5459"W		372.941		708529.665		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		34.965		100		-1		10		11.999		-1.094		0.857		Yes		9/3/25 7:35		FLOAT RTK		32		1.01		0.53		0.86		9740		-1338		Yes		FLOAT RTK		3D		1.4		2970		4.601		3.129		0.591		11.129				WME		Water Meter

		UP4365		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4365		9/3/25 7:50		3729'0.5312"N		798'42.4969"W		404.811		708934.476		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		8.102		100		-34		11		15.598		-0.485		60.838		Yes		9/3/25 7:50		RTK		32		0.98		0.52		0.83		9533		-1338		Yes		RTK		3D		1		2970		0.551		0.433		0.433		1.402				WME		Water Meter

		UP4366		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4366		9/3/25 7:58		3729'2.5150"N		798'45.4511"W		311.554		709246.03		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		3.472		100		-7		11		14.112		-1.075		-34.03		Yes		9/3/25 7:58		FLOAT RTK		31		1.12		0.57		0.97		9462		-1338		Yes		FLOAT RTK		3D		0.8		2970		2.945		2.393		0.472		7.589				WME		Water Meter

		UP4367		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4367		9/3/25 7:58		3729'2.5019"N		798'45.4322"W		2.02		709248.05		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		140		15.26		100		0		11		11.357		0.605		-56.127		Yes		9/3/25 7:59		RTK		32		1.12		0.57		0.97		9473		-1338		Yes		RTK		3D		0.6		2970		2.858		1.64		0.866		6.591				WME		Water Meter

		UP4368		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4368		9/3/25 8:00		3729'2.2978"N		798'46.4166"W		81.911		709329.961		0		UNKNOWN		54		65536		CLASSIC		OMNI PEAK		140		19.318		100		44		7		20.976		2.801		62.076		Yes		9/3/25 8:00		RTK		31		1.14		0.59		0.97		9544		-1338		Yes		RTK		3D		0.8		2970		1.05		0.551		0.669		2.372				WME		Water Meter

		UP4369		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4369		9/3/25 8:03		3729'4.2412"N		798'47.8339"W		227.801		709557.762		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		20.597		100		5		11		15.576		0.802		9.615		Yes		9/3/25 8:03		RTK		31		1.13		0.56		0.98		9424		-1338		Yes		RTK		3D		1		2970		0.85		0.512		0.512		1.985				WME		Water Meter

		UP4370		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4370		9/3/25 8:03		3729'4.2516"N		798'47.8501"W		1.675		709559.437		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		140		13.059		100		10		11		18.862		0.838		-34.248		Yes		9/3/25 8:03		RTK		32		1.1		0.57		0.94		9421		-1338		Yes		RTK		3D		3.2		2970		0.591		0.512		0.472		1.563				WME		Water Meter

		UP4371		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4371		9/3/25 8:07		3729'15.0133"N		798'52.3965"W		1151.491		710710.928		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		1.728		100		24		12		9.625		-1.834		-48.793		Yes		9/3/25 8:07		RTK		27		1.15		0.59		0.98		9345		-1338		Yes		RTK		3D		0.6		2970		0.551		0.37		0.433		1.328				WME		Water Meter

		UP4372		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4372		9/3/25 8:09		3729'27.0213"N		798'57.5879"W		1287.895		711998.823		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.515		100		8		9		16.353		0.554		-74.781		Yes		9/3/25 8:09		RTK		32		1.12		0.56		0.97		8744		-1338		Yes		RTK		3D		1.2		2970		0.759		0.591		0.551		1.923				WME		Water Meter

		UP4373		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4373		9/3/25 8:11		3729'30.5931"N		799'0.7995"W		445.126		712443.949		0		UNKNOWN		31		65536		CLASSIC		OMNI PEAK		140		21.133		100		-1		12		12.786		1.348		-31.421		Yes		9/3/25 8:11		RTK		31		1.12		0.56		0.97		8429		-1338		Yes		RTK		3D		1.2		2970		0.591		0.433		0.472		1.465				WME		Water Meter

		UP4374		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4374		9/3/25 8:13		3729'34.5198"N		799'5.3307"W		540.114		712984.063		0		UNKNOWN		80		65536		CLASSIC		OMNI PEAK		140		11.046		100		-8		9		15.318		-0.61		15.387		Yes		9/3/25 8:13		RTK		31		1.31		0.62		1.16		7995		-1338		Yes		RTK		3D		0.4		2970		0.433		0.378		0.394		1.15				WME		Water Meter

		UP4375		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4375		9/3/25 8:13		3729'34.4785"N		799'5.2484"W		7.836		712991.899		0		UNKNOWN		25		65536		CLASSIC		OMNI PEAK		140		12.82		100		-7		7		13.557		-0.216		4.404		Yes		9/3/25 8:13		RTK		32		1.23		0.6		1.08		8018		-1338		Yes		RTK		3D		0.6		2970		1.157		0.85		0.669		2.873				WME		Water Meter

		UP4376		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4376		9/3/25 8:14		3729'35.0810"N		799'6.4135"W		111.941		713103.839		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		28.416		100		-2		10		9.478		3.964		-23.16		Yes		9/3/25 8:14		RTK		32		1.12		0.58		0.96		8011		-1338		Yes		RTK		3D		1.6		2970		0.512		0.343		0.394		1.232				WME		Water Meter

		UP4377		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4377		9/3/25 8:16		3729'40.3691"N		799'13.7349"W		796.94		713900.779		0		UNKNOWN		1402		65536		CLASSIC		OMNI PEAK		140		7.834		100		-21		9		7.549		2.491		10.661		Yes		9/3/25 8:16		RTK		31		1.08		0.55		0.93		8231		-1338		Yes		RTK		3D		1.4		2970		0.551		0.39		0.472		1.35				WME		Water Meter

		UP4378		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4378		9/3/25 8:18		3729'45.4558"N		799'13.3418"W		517.015		714417.794		0		UNKNOWN		24		65536		CLASSIC		OMNI PEAK		140		18.411		100		6		11		13.578		-0.082		-60.927		Yes		9/3/25 8:18		RTK		31		1.26		0.61		1.11		8521		-1338		Yes		RTK		3D		1.4		2970		0.512		0.394		0.433		1.291				WME		Water Meter

		UP4379		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4379		9/3/25 8:19		3729'45.5567"N		799'13.3682"W		10.452		714428.246		0		UNKNOWN		28		65536		CLASSIC		OMNI PEAK		140		10.797		100		-12		9		14.379		-4.871		40.299		Yes		9/3/25 8:19		RTK		31		1.26		0.61		1.1		8534		-1338		Yes		RTK		3D		1		2970		0.362		0.295		0.394		0.935				WME		Water Meter

		UP4380		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4380		9/3/25 8:20		3729'50.2465"N		799'13.8969"W		477.691		714905.937		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		17.18		100		-2		11		11.258		3.662		59.179		Yes		9/3/25 8:20		RTK		32		1.19		0.58		1.04		9030		-1338		Yes		RTK		3D		0.8		2970		1.05		0.551		0.551		2.372				WME		Water Meter

		UP4381		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4381		9/3/25 8:27		3729'53.3691"N		799'14.7258"W		323.734		715229.67		0		UNKNOWN		280		65536		CLASSIC		OMNI PEAK		140		13.287		100		0		13		7.283		2.061		54.134		Yes		9/3/25 8:27		RTK		32		1.17		0.58		1.02		9111		-1338		Yes		RTK		3D		0.8		2970		0.759		0.394		0.394		1.709				WME		Water Meter

		UP4382		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4382		9/3/25 8:28		3729'53.7799"N		799'14.8953"W		43.848		715273.518		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		41.175		100		2		11		16.806		0.085		-8.918		Yes		9/3/25 8:28		RTK		32		1.17		0.58		1.02		9092		-1338		Yes		RTK		3D		1		2970		0.394		0.343		0.394		1.044				WME		Water Meter

		UP4383		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4383		9/3/25 8:28		3729'53.8080"N		799'14.9127"W		3.183		715276.701		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		9.63		100		1		13		15.635		3.504		-74.168		Yes		9/3/25 8:28		RTK		32		1.17		0.59		1.01		9097		-1338		Yes		RTK		3D		0.4		2970		0.394		0.319		0.394		1.013				WME		Water Meter

		UP4384		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4384		9/3/25 8:31		3730'2.1626"N		799'22.9569"W		1066.569		716343.269		0		UNKNOWN		10		65536		CLASSIC		OMNI PEAK		140		6.135		100		8		9		11.111		3.506		-66.69		Yes		9/3/25 8:31		RTK		32		1.2		0.6		1.04		9162		-1338		Yes		RTK		3D		1.2		2970		1.913		1.27		0.827		4.593				WME		Water Meter

		UP4385		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4385		9/3/25 8:34		3730'5.1947"N		799'34.4426"W		974.263		717317.532		0		UNKNOWN		107		65536		CLASSIC		OMNI PEAK		140		25.988		100		1		9		10.73		4.155		56.137		Yes		9/3/25 8:34		RTK		31		1.24		0.61		1.08		9421		-1338		Yes		RTK		3D		1.2		2970		0.591		0.472		0.433		1.513				WME		Water Meter

		UP4386		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4386		9/3/25 8:36		3730'5.0437"N		799'34.4130"W		15.498		717333.03		0		UNKNOWN		43		65536		CLASSIC		OMNI PEAK		140		10.858		100		13		8		7.687		-1.64		42.938		Yes		9/3/25 8:36		RTK		31		1.22		0.59		1.07		9421		-1338		Yes		RTK		3D		1		2970		0.672		0.433		0.433		1.599				WME		Water Meter

		UP4387		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4387		9/3/25 8:38		3730'4.6485"N		799'33.7987"W		63.658		717396.688		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.298		100		8		8		8.574		4.303		-48.101		Yes		9/3/25 8:38		RTK		31		1.21		0.59		1.06		9374		-1338		Yes		RTK		3D		0.8		2970		0.591		0.512		0.433		1.563				WME		Water Meter

		UP4388		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4388		9/3/25 8:38		3730'5.2810"N		799'33.6679"W		65.026		717461.713		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		9.196		100		-1		9		11.812		-0.206		80.688		Yes		9/3/25 8:38		RTK		31		1.21		0.59		1.06		9365		-1338		Yes		RTK		3D		1.8		2970		1.05		0.85		0.63		2.702				WME		Water Meter

		UP4389		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4389		9/3/25 8:40		3730'5.1944"N		799'34.4422"W		62.932		717524.645		0		UNKNOWN		73		65536		CLASSIC		OMNI PEAK		140		23.569		100		0		8		10.639		-0.567		30.704		Yes		9/3/25 8:40		RTK		31		1.21		0.59		1.06		9421		-1338		Yes		RTK		3D		1.4		2970		0.551		0.472		0.394		1.452				WME		Water Meter

		UP4390		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4390		9/3/25 8:45		3730'2.9342"N		799'26.4357"W		683.983		718208.629		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		27.049		100		4		8		8.783		3.993		-0.57		Yes		9/3/25 8:45		RTK		32		1.11		0.56		0.96		9197		-1338		Yes		RTK		3D		1.2		2970		0.551		0.512		0.433		1.504				WME		Water Meter

		UP4391		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4391		9/3/25 8:48		3730'0.7704"N		799'22.5208"W		384.017		718592.645		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		140		17.845		100		23		8		8.707		1.034		-13.704		Yes		9/3/25 8:48		RTK		32		1.1		0.55		0.95		9095		-1338		Yes		RTK		3D		0.8		2970		0.433		0.394		0.394		1.171				WME		Water Meter

		UP4392		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4392		9/3/25 8:50		3729'59.3020"N		799'21.3259"W		177.321		718769.966		0		UNKNOWN		63		65536		CLASSIC		OMNI PEAK		140		17.147		100		16		8		10.004		0.368		38.068		Yes		9/3/25 8:50		RTK		32		1.13		0.56		0.98		9057		-1338		Yes		RTK		3D		1.2		2970		0.512		0.433		0.394		1.341				WME		Water Meter

		UP4393		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4393		9/3/25 8:52		3729'57.2352"N		799'19.4276"W		259.442		719029.409		0		UNKNOWN		75		65536		CLASSIC		OMNI PEAK		140		77.103		100		-20		7		8.872		0.547		14.627		Yes		9/3/25 8:52		RTK		31		1.13		0.56		0.98		9001		-1338		Yes		RTK		3D		1		2970		0.551		0.39		0.394		1.35				WME		Water Meter

		UP4394		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4394		9/3/25 8:53		3729'55.3640"N		799'16.6277"W		294.654		719324.063		0		UNKNOWN		77		65536		CLASSIC		OMNI PEAK		140		49.864		100		0		12		8.925		3.521		-67.021		Yes		9/3/25 8:53		RTK		30		1.13		0.56		0.98		8983		-1338		Yes		RTK		3D		1		2970		1.05		0.551		0.551		2.372				WME		Water Meter

		UP4395		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4395		9/3/25 8:55		3729'54.3578"N		799'16.0858"W		111.004		719435.067		0		UNKNOWN		274		65536		CLASSIC		OMNI PEAK		140		60.756		100		2		12		15.059		-1.338		28.051		Yes		9/3/25 8:55		RTK		31		1.12		0.56		0.97		9055		-1338		Yes		RTK		3D		1.2		2970		0.85		0.591		0.512		2.071				WME		Water Meter

		UP4396		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4396		9/3/25 8:57		3729'52.5169"N		799'15.1036"W		202.803		719637.87		0		UNKNOWN		48		65536		CLASSIC		OMNI PEAK		140		86.771		100		35		5		9.643		-1.58		-34.229		Yes		9/3/25 8:57		RTK		31		1.12		0.56		0.96		9088		-1338		Yes		RTK		3D		1		2970		0.433		0.346		0.394		1.109				WME		Water Meter

		UP4397		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4397		9/3/25 8:59		3729'49.5495"N		799'14.4826"W		305.171		719943.041		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		23.932		100		0		11		9.155		-0.303		-65.723		Yes		9/3/25 8:59		FLOAT RTK		31		1.11		0.56		0.96		9003		-1338		Yes		FLOAT RTK		3D		1		2970		3.313		2.209		0.472		7.963				WME		Water Meter

		UP4398		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4398		9/3/25 8:59		3729'49.2815"N		799'14.2115"W		34.857		719977.898		0		UNKNOWN		118		65536		CLASSIC		OMNI PEAK		140		56.251		100		0		11		13.335		0.394		80.071		Yes		9/3/25 8:59		RTK		31		1.11		0.56		0.95		8981		-1338		Yes		RTK		3D		1.2		2970		0.948		0.672		0.551		2.323				WME		Water Meter

		UP4399		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4399		9/3/25 9:00		3729'48.0162"N		799'13.9334"W		130.308		720108.206		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		53.516		100		9		13		13.405		2.631		29.367		Yes		9/3/25 9:00		RTK		31		1.11		0.56		0.95		8848		-1338		Yes		RTK		3D		0.6		2970		0.591		0.512		0.472		1.563				WME		Water Meter

		UP4400		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4400		9/3/25 9:08		3730'4.1554"N		799'32.7522"W		2230.49		722338.696		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		11		8		11.68		0.535		1.317		Yes		9/3/25 9:08		RTK		32		1.08		0.56		0.92		9341		-1338		Yes		RTK		3D		1.6		2970		1.157		0.948		0.669		2.992				WME		Water Meter

		UP4401		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4401		9/3/25 9:15		3729'37.0005"N		799'11.7124"W		3233.756		725572.452		0		UNKNOWN		44		65536		CLASSIC		OMNI PEAK		140		100		100		0		12		11.802		1.923		0.655		Yes		9/3/25 9:15		RTK		32		1		0.55		0.83		7983		-1338		Yes		RTK		3D		0.6		2970		0.85		0.591		0.551		2.071				WME		Water Meter

		UP4402		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4402		9/3/25 9:20		3729'6.1286"N		798'54.5722"W		0		725572.452		0		UNKNOWN		66		65536		CLASSIC		OMNI PEAK		140		50.524		100		0		11		10.524		-1.708		-2.635		Yes		9/3/25 9:20		RTK		32		0.95		0.54		0.78		9573		-1338		Yes		RTK		3D		1		2970		1.512		1.05		0.63		3.681				WME		Water Meter

		UP4403		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4403		9/3/25 9:22		3729'5.8754"N		798'57.9620"W		274.092		725846.544		0		UNKNOWN		4000		65536		CLASSIC		OMNI PEAK		140		45.018		100		0		12		9.524		-5.089		-16.788		Yes		9/3/25 9:22		RTK		32		0.97		0.55		0.8		9494		-1338		Yes		RTK		3D		1.2		2970		1.05		0.759		0.551		2.59				WME		Water Meter

		UP4404		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4404		9/3/25 9:23		3729'6.7039"N		798'58.5552"W		96.664		725943.209		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		14.526		100		-3		9		8.819		-2.435		-76.934		Yes		9/3/25 9:23		RTK		32		0.98		0.56		0.8		9386		-1338		Yes		RTK		3D		1		2970		1.05		0.672		0.551		2.493				WME		Water Meter

		UP4405		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4405		9/3/25 9:24		3729'7.8924"N		798'59.4576"W		140.773		726083.982		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		-2		9		19.56		2.216		-1.752		Yes		9/3/25 9:24		RTK		31		0.98		0.56		0.8		9339		-1338		Yes		RTK		3D		0.8		2970		0.512		0.472		0.394		1.393				WME		Water Meter

		UP4406		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4406		9/3/25 9:26		3729'9.1746"N		799'0.4501"W		152.658		726236.64		0		UNKNOWN		2151		65536		CLASSIC		OMNI PEAK		140		24.972		100		7		9		14.042		-2.675		-88.22		Yes		9/3/25 9:26		RTK		32		0.93		0.54		0.76		9315		-1338		Yes		RTK		3D		1		2970		0.433		0.339		0.394		1.099				WME		Water Meter

		UP4407		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4407		9/3/25 9:27		3729'10.0877"N		799'1.0927"W		106.094		726342.734		0		UNKNOWN		86		65536		CLASSIC		OMNI PEAK		140		40.705		100		0		12		10.639		-2.187		29.844		Yes		9/3/25 9:27		RTK		32		0.96		0.56		0.78		9259		-1338		Yes		RTK		3D		0.8		2970		0.85		0.551		0.512		2.027				WME		Water Meter

		UP4408		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4408		9/3/25 9:28		3729'11.1008"N		799'1.9494"W		123.778		726466.512		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		25.231		100		9		6		12.783		-6.919		74.09		Yes		9/3/25 9:28		RTK		32		0.92		0.54		0.75		9138		-1338		Yes		RTK		3D		1.2		2970		0.512		0.472		0.394		1.393				WME		Water Meter

		UP4409		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4409		9/3/25 9:30		3729'12.7220"N		799'3.2670"W		195.702		726662.214		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		100		-3		10		10.045		-3.51		2.125		Yes		9/3/25 9:30		RTK		32		0.92		0.54		0.74		9148		-1338		Yes		RTK		3D		1.2		2970		0.672		0.512		0.472		1.689				WME		Water Meter

		UP4410		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4410		9/3/25 9:31		3729'14.2318"N		799'4.2942"W		174.066		726836.281		0		UNKNOWN		200		65536		CLASSIC		OMNI PEAK		140		58.754		100		1		12		15.252		-0.064		-1.951		Yes		9/3/25 9:31		RTK		32		0.92		0.54		0.74		9229		-1338		Yes		RTK		3D		1.2		2970		0.85		0.551		0.433		2.027				WME		Water Meter

		UP4411		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4411		9/3/25 9:32		3729'14.3155"N		799'4.4015"W		12.114		726848.395		0		UNKNOWN		303		65536		CLASSIC		OMNI PEAK		140		40.863		100		20		10		16.835		-0.063		67.101		Yes		9/3/25 9:32		RTK		32		0.91		0.54		0.74		9228		-1338		Yes		RTK		3D		1.2		2970		0.672		0.551		0.433		1.738				WME		Water Meter

		UP4412		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4412		9/3/25 9:33		3729'15.2735"N		799'5.7130"W		143.503		726991.898		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		20.953		100		-3		12		15.539		-2.718		-13.109		Yes		9/3/25 9:33		RTK		32		1		0.59		0.81		9212		-1338		Yes		RTK		3D		1.2		2970		0.672		0.551		0.472		1.738				WME		Water Meter

		UP4413		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4413		9/3/25 9:34		3729'15.8164"N		799'6.5744"W		88.552		727080.45		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		100		100		2		7		8.704		0.546		-9.543		Yes		9/3/25 9:34		RTK		31		1		0.59		0.81		9142		-1338		Yes		RTK		3D		1.6		2970		0.759		0.551		0.472		1.875				WME		Water Meter

		UP4414		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4414		9/3/25 9:37		3729'18.5996"N		799'7.9140"W		302.244		727382.694		0		UNKNOWN		70		65536		CLASSIC		OMNI PEAK		140		29.691		100		1		13		14.013		-2.372		-79.689		Yes		9/3/25 9:37		RTK		31		0.99		0.59		0.8		9136		-1338		Yes		RTK		3D		0.4		2970		1.512		1.05		0.709		3.681				WME		Water Meter

		UP4415		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4415		9/3/25 9:38		3729'20.0239"N		799'5.5960"W		235.997		727618.691		0		UNKNOWN		42		65536		CLASSIC		OMNI PEAK		140		100		100		-2		8		11.99		-1.143		-15.094		Yes		9/3/25 9:38		RTK		32		0.99		0.59		0.79		9226		-1338		Yes		RTK		3D		1.2		2970		0.551		0.472		0.394		1.452				WME		Water Meter

		UP4416		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4416		9/3/25 9:39		3729'19.7311"N		799'4.6996"W		78.036		727696.727		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		20.833		100		18		7		10.591		-3.208		70.315		Yes		9/3/25 9:39		RTK		32		0.99		0.59		0.79		9227		-1338		Yes		RTK		3D		0.4		2970		0.672		0.551		0.472		1.738				WME		Water Meter

		UP4417		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4417		9/3/25 9:39		3729'19.4269"N		799'3.7738"W		80.663		727777.39		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		140		100		100		-1		12		20.606		1.883		10.117		Yes		9/3/25 9:39		RTK		32		0.99		0.59		0.79		9209		-1338		Yes		RTK		3D		1		2970		0.948		0.759		0.512		2.427				WME		Water Meter

		UP4418		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4418		9/3/25 9:42		3729'18.1691"N		799'2.0720"W		187.211		727964.6		0		UNKNOWN		21		65536		CLASSIC		OMNI PEAK		140		56.002		100		3		11		10.196		1.003		-2.277		Yes		9/3/25 9:42		RTK		32		0.94		0.57		0.75		9255		-1338		Yes		RTK		3D		1		2970		0.591		0.512		0.394		1.563				WME		Water Meter

		UP4419		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4419		9/3/25 9:43		3729'17.6691"N		799'1.9698"W		51.388		728015.988		0		UNKNOWN		10		65536		CLASSIC		OMNI PEAK		140		100		100		14		6		7.909		-2.029		-32.135		Yes		9/3/25 9:43		RTK		32		0.94		0.57		0.75		9284		-1338		Yes		RTK		3D		1.2		2970		1.05		0.948		0.591		2.828				WME		Water Meter

		UP4420		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4420		9/3/25 9:44		3729'16.7055"N		799'1.2187"W		114.945		728130.933		0		UNKNOWN		83		65536		CLASSIC		OMNI PEAK		140		51.119		100		-2		10		12.355		-3.171		-58.018		Yes		9/3/25 9:44		RTK		32		0.94		0.57		0.74		9337		-1338		Yes		RTK		3D		0.4		2970		0.672		0.672		0.472		1.9				WME		Water Meter

		UP4421		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4421		9/3/25 9:44		3729'16.7416"N		799'1.1610"W		5.913		728136.846		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		14.095		100		-9		10		11.369		-0.212		9.537		Yes		9/3/25 9:44		RTK		32		0.94		0.57		0.74		9339		-1338		Yes		RTK		3D		0.6		2970		1.157		0.759		0.551		2.768				WME		Water Meter

		UP4422		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4422		9/3/25 9:45		3729'17.2209"N		799'0.6816"W		62.078		728198.924		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		58.818		100		0		11		8.199		0.764		17.983		Yes		9/3/25 9:45		RTK		32		0.93		0.57		0.74		9331		-1338		Yes		RTK		3D		0.6		2970		1.05		0.85		0.551		2.702				WME		Water Meter

		UP4423		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4423		9/3/25 9:50		3729'19.8961"N		799'0.9968"W		272.578		728471.502		0		UNKNOWN		53		65536		CLASSIC		OMNI PEAK		140		69.613		100		13		6		10.779		2.388		-0.259		Yes		9/3/25 9:50		RTK		31		1.16		0.67		0.95		9204		-1338		Yes		RTK		3D		1		2970		0.472		0.433		0.394		1.282				WME		Water Meter

		UP4424		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4424		9/3/25 9:50		3729'19.9307"N		799'0.8538"W		12.036		728483.538		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		55.773		100		7		8		10.099		-3.938		23.586		Yes		9/3/25 9:50		RTK		31		1.15		0.67		0.93		9204		-1338		Yes		RTK		3D		0.8		2970		0.948		0.512		0.551		2.154				WME		Water Meter

		UP4425		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4425		9/3/25 9:52		3729'20.9807"N		798'59.0457"W		180.363		728663.901		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		43.891		100		4		9		14.95		-2.793		-18.04		Yes		9/3/25 9:52		RTK		30		1.04		0.62		0.83		9205		-1338		Yes		RTK		3D		0.6		2970		0.512		0.433		0.394		1.341				WME		Water Meter

		UP4426		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4426		9/3/25 9:53		3729'21.2865"N		798'58.0287"W		87.545		728751.446		0		UNKNOWN		31		65536		CLASSIC		OMNI PEAK		140		88.252		100		-2		8		14.531		-3.905		-23.661		Yes		9/3/25 9:53		RTK		31		1.09		0.65		0.88		9204		-1338		Yes		RTK		3D		1.2		2970		0.672		0.551		0.472		1.738				WME		Water Meter

		UP4427		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4427		9/3/25 9:54		3729'22.1263"N		798'57.6940"W		89.356		728840.802		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		100		-1		12		9.629		0.341		7.001		Yes		9/3/25 9:54		RTK		31		1.04		0.62		0.83		9135		-1338		Yes		RTK		3D		1.2		2970		1.388		0.551		0.748		2.988				WME		Water Meter

		UP4428		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4428		9/3/25 9:54		3729'21.6879"N		798'58.8363"W		102.139		728942.941		0		UNKNOWN		53		65536		CLASSIC		OMNI PEAK		140		79.584		100		7		11		11.386		-4.562		81.113		Yes		9/3/25 9:54		RTK		31		1.09		0.65		0.88		9179		-1338		Yes		RTK		3D		0.8		2970		0.672		0.551		0.472		1.738				WME		Water Meter

		UP4429		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4429		9/3/25 9:55		3729'21.0140"N		799'0.2796"W		134.806		729077.748		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		-10		9		1.966		-1.931		-18.779		Yes		9/3/25 9:55		RTK		31		1.07		0.64		0.86		9178		-1338		Yes		RTK		3D		0.6		2970		0.512		0.339		0.394		1.227				WME		Water Meter

		UP4430		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4430		9/3/25 9:59		3729'20.1869"N		799'4.0613"W		315.765		729393.512		0		UNKNOWN		18		65536		CLASSIC		OMNI PEAK		140		84.569		100		-9		7		8.908		0.335		41.808		Yes		9/3/25 9:59		RTK		31		1.07		0.64		0.86		9190		-1338		Yes		RTK		3D		0.4		2970		0.85		0.672		0.551		2.168				WME		Water Meter

		UP4431		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4431		9/3/25 10:00		3729'20.8293"N		799'5.7550"W		151.114		729544.627		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		100		100		-2		9		7.612		-0.851		-9.281		Yes		9/3/25 10:00		RTK		31		1.24		0.7		1.03		9163		-1338		Yes		RTK		3D		0.4		2970		1.512		0.672		0.748		3.309				WME		Water Meter

		UP4432		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4432		9/3/25 10:01		3729'20.8300"N		799'5.7554"W		0.074		729544.7		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		100		100		-20		7		11.612		5.419		-67.961		Yes		9/3/25 10:01		RTK		32		1.24		0.7		1.03		9162		-1338		Yes		RTK		3D		1		2970		1.512		0.85		0.748		3.469				WME		Water Meter

		UP4433		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4433		9/3/25 10:02		3729'21.4580"N		799'6.9059"W		112.412		729657.113		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		21.411		100		-26		11		4.804		1.085		13.736		Yes		9/3/25 10:02		RTK		31		1.24		0.71		1.02		9069		-1338		Yes		RTK		3D		0.8		2970		1.512		1.05		0.748		3.681				WME		Water Meter

		UP4434		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4434		9/3/25 10:03		3729'21.9419"N		799'8.0783"W		106.38		729763.492		0		UNKNOWN		10		65536		CLASSIC		OMNI PEAK		140		100		100		5		7		10.322		-1.681		-79.092		Yes		9/3/25 10:03		RTK		30		1.24		0.71		1.02		8981		-1338		Yes		RTK		3D		1		2970		1.512		1.27		0.787		3.949				WME		Water Meter

		UP4435		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4435		9/3/25 10:04		3729'22.2765"N		799'8.9847"W		80.476		729843.968		0		UNKNOWN		46		65536		CLASSIC		OMNI PEAK		140		63.598		100		24		9		16.112		-3.385		8.049		Yes		9/3/25 10:04		RTK		29		1.24		0.71		1.02		8916		-1338		Yes		RTK		3D		1		2970		2.688		2.362		1.102		7.156				WME		Water Meter

		UP4436		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4436		9/3/25 10:04		3729'22.6514"N		799'9.7884"W		75.045		729919.013		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		56.655		100		51		11		11.211		0.536		-55.033		Yes		9/3/25 10:04		RTK		29		1.24		0.71		1.02		8879		-1338		Yes		RTK		3D		1.2		2970		1.388		0.672		0.787		3.085				WME		Water Meter

		UP4437		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4437		9/3/25 10:05		3729'22.6541"N		799'11.0288"W		99.848		730018.861		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		100		100		0		11		14.277		-3.786		12.951		Yes		9/3/25 10:06		RTK		29		1.24		0.71		1.02		8756		-1338		Yes		RTK		3D		0.8		2970		1.157		0.85		0.669		2.873				WME		Water Meter

		UP4438		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4438		9/3/25 10:09		3729'24.1254"N		799'15.9993"W		427.046		730445.908		0		UNKNOWN		18		65536		CLASSIC		OMNI PEAK		140		100		100		2		9		8.76		1.077		31.49		Yes		9/3/25 10:10		RTK		29		1.13		0.66		0.92		8933		-1338		Yes		RTK		3D		0.4		2970		0.591		0.433		0.433		1.465				WME		Water Meter

		UP4439		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4439		9/3/25 10:10		3729'24.3549"N		799'15.9043"W		24.501		730470.409		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		34.425		100		-6		8		8.344		3.009		-54.137		Yes		9/3/25 10:10		RTK		29		1.14		0.66		0.92		8933		-1338		Yes		RTK		3D		0.4		2970		1.05		0.85		0.709		2.702				WME		Water Meter

		UP4440		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4440		9/3/25 10:11		3729'25.3894"N		799'15.3231"W		114.914		730585.323		0		UNKNOWN		16		65536		CLASSIC		OMNI PEAK		140		82.245		100		-1		10		9.577		-0.983		-37.814		Yes		9/3/25 10:11		RTK		30		1.14		0.66		0.93		8903		-1338		Yes		RTK		3D		0.4		2970		0.948		0.759		0.591		2.427				WME		Water Meter

		UP4441		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4441		9/3/25 10:11		3729'25.4052"N		799'15.5187"W		15.824		730601.147		0		UNKNOWN		16		65536		CLASSIC		OMNI PEAK		140		100		100		2		8		12.355		0.32		-28.846		Yes		9/3/25 10:11		RTK		30		1.14		0.66		0.93		8912		-1338		Yes		RTK		3D		0.6		2970		1.27		0.591		0.63		2.802				WME		Water Meter

		UP4442		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4442		9/3/25 10:12		3729'25.5675"N		799'16.0536"W		46.106		730647.253		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		-1		9		9.212		1.2		-41.632		Yes		9/3/25 10:12		RTK		27		1.14		0.66		0.93		8907		-1338		Yes		RTK		3D		0.6		2970		0.85		0.672		0.591		2.168				WME		Water Meter

		UP4443		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4443		9/3/25 10:14		3729'23.7861"N		799'18.4750"W		265.807		730913.06		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		71.42		100		-9		10		10.806		-1.96		31.858		Yes		9/3/25 10:14		RTK		30		1.1		0.64		0.89		8903		-1338		Yes		RTK		3D		1		2970		0.948		0.672		0.551		2.323				WME		Water Meter

		UP4444		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4444		9/3/25 10:15		3729'23.5854"N		799'20.0106"W		125.271		731038.331		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		5		12		11.905		-1.039		30.124		Yes		9/3/25 10:15		RTK		30		1.1		0.64		0.89		8922		-1338		Yes		RTK		3D		0.8		2970		0.672		0.551		0.512		1.738				WME		Water Meter

		UP4445		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4445		9/3/25 10:19		3729'22.6672"N		799'22.0760"W		190.582		731228.912		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		26.816		100		2		10		10.883		-0.861		29.15		Yes		9/3/25 10:19		RTK		30		1.14		0.66		0.93		8761		-1338		Yes		RTK		3D		0.6		2970		1.774		0.948		0.827		4.023				WME		Water Meter

		UP4446		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4446		9/3/25 10:19		3729'22.6433"N		799'22.1281"W		4.837		731233.749		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		31.629		100		-2		8		12.318		-0.602		45.298		Yes		9/3/25 10:19		RTK		30		1.14		0.66		0.93		8754		-1338		Yes		RTK		3D		0.8		2970		1.388		1.05		0.748		3.481				WME		Water Meter

		UP4447		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4447		9/3/25 10:21		3729'22.2003"N		799'23.4988"W		119.139		731352.888		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		11.856		100		-22		9		10.302		-1.912		-59.229		Yes		9/3/25 10:21		FLOAT RTK		30		1.12		0.65		0.91		8538		-1338		Yes		FLOAT RTK		3D		1.6		2970		8.098		6.258		1.614		20.469				WME		Water Meter

		UP4448		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4448		9/3/25 10:21		3729'22.1899"N		799'23.4834"W		1.628		731354.517		0		UNKNOWN		33		65536		CLASSIC		OMNI PEAK		140		72.146		100		-10		7		11.144		0.47		18.751		Yes		9/3/25 10:21		FLOAT RTK		30		1.12		0.65		0.91		8533		-1338		Yes		FLOAT RTK		3D		1		2970		14.908		12.148		2.126		38.462				WME		Water Meter

		UP4449		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4449		9/3/25 10:21		3729'21.4706"N		799'22.8304"W		89.935		731444.451		0		UNKNOWN		43		65536		CLASSIC		OMNI PEAK		140		100		100		17		7		12.542		0.174		-19.857		Yes		9/3/25 10:22		RTK		30		1.12		0.65		0.91		8620		-1338		Yes		RTK		3D		1.2		2970		1.27		0.85		0.63		3.057				WME		Water Meter

		UP4450		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4450		9/3/25 10:22		3729'21.5023"N		799'22.7006"W		10.932		731455.383		0		UNKNOWN		21		65536		CLASSIC		OMNI PEAK		140		100		100		6		10		12.313		-0.037		32.83		Yes		9/3/25 10:22		RTK		30		1.12		0.65		0.91		8636		-1338		Yes		RTK		3D		1.2		2970		0.85		0.759		0.591		2.279				WME		Water Meter

		UP4451		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4451		9/3/25 10:24		3729'22.2548"N		799'21.4796"W		124.453		731579.836		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		100		100		-12		8		13.324		-0.013		-38.151		Yes		9/3/25 10:24		RTK		30		1.29		0.71		1.08		8781		-1338		Yes		RTK		3D		1.2		2970		0.512		0.433		0.394		1.341				WME		Water Meter

		UP4452		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4452		9/3/25 10:24		3729'22.4591"N		799'20.8387"W		55.601		731635.437		0		UNKNOWN		86		65536		CLASSIC		OMNI PEAK		140		36.8		100		-9		9		10.764		0.531		75.183		Yes		9/3/25 10:24		RTK		30		1.3		0.71		1.09		8834		-1338		Yes		RTK		3D		0.6		2970		0.948		0.512		0.591		2.154				WME		Water Meter

		UP4453		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4453		9/3/25 10:25		3729'22.8611"N		799'20.0809"W		73.382		731708.82		0		UNKNOWN		17		65536		CLASSIC		OMNI PEAK		140		100		100		1		8		11.214		2.428		-2.457		Yes		9/3/25 10:25		RTK		30		1.3		0.71		1.09		8878		-1338		Yes		RTK		3D		0.4		2970		0.512		0.354		0.433		1.245				WME		Water Meter

		UP4454		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4454		9/3/25 10:27		3729'22.8352"N		799'16.6398"W		277.013		731985.832		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		3.615		100		3		7		12.441		2.433		-0.028		Yes		9/3/25 10:27		RTK		30		1.11		0.65		0.9		8873		-1338		Yes		RTK		3D		1		2970		2.207		1.512		0.906		5.351				WME		Water Meter

		UP4455		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4455		9/3/25 10:28		3729'22.3736"N		799'15.5367"W		100.387		732086.22		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		100		100		1		7		8.701		-0.553		41.69		Yes		9/3/25 10:28		RTK		29		1.22		0.68		1.01		8838		-1338		Yes		RTK		3D		1.2		2970		0.948		0.672		0.591		2.323				WME		Water Meter

		UP4456		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4456		9/3/25 10:34		3729'20.1171"N		799'15.4929"W		228.946		732315.166		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		18.009		100		2		13		10.283		-2.548		-64.59		Yes		9/3/25 10:34		RTK		29		1.25		0.67		1.05		8811		-1338		Yes		RTK		3D		0.6		2970		0.591		0.551		0.472		1.616				WME		Water Meter

		UP4457		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4457		9/3/25 10:36		3729'18.4269"N		799'16.6637"W		195.665		732510.83		0		UNKNOWN		21		65536		CLASSIC		OMNI PEAK		140		89.314		100		2		9		8.527		0.149		-60.858		Yes		9/3/25 10:36		RTK		30		1.26		0.67		1.06		8700		-1338		Yes		RTK		3D		1.4		2970		1.27		1.05		0.709		3.296				WME		Water Meter

		UP4458		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4458		9/3/25 10:37		3729'17.5782"N		799'17.7663"W		123.658		732634.488		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		64.863		100		-21		10		11.64		-0.414		0.766		Yes		9/3/25 10:37		RTK		30		1.27		0.67		1.07		8579		-1338		Yes		RTK		3D		1.6		2970		4.412		3.992		1.299		11.9				WME		Water Meter

		UP4459		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4459		9/3/25 10:37		3729'16.9383"N		799'17.8009"W		64.981		732699.47		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		0		12		4.374		1.533		-65.332		Yes		9/3/25 10:38		RTK		30		1.27		0.67		1.08		8563		-1338		Yes		RTK		3D		1.4		2970		0.472		0.433		0.394		1.282				WME		Water Meter

		UP4460		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4460		9/3/25 10:38		3729'16.8865"N		799'17.2274"W		46.462		732745.931		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		18.241		100		-2		10		8.106		0.151		70.072		Yes		9/3/25 10:38		RTK		30		1.27		0.67		1.08		8594		-1338		Yes		RTK		3D		1.6		2970		1.388		1.157		0.709		3.615				WME		Water Meter

		UP4461		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4461		9/3/25 10:39		3729'16.8170"N		799'17.2793"W		8.195		732754.126		0		UNKNOWN		17		65536		CLASSIC		OMNI PEAK		140		100		100		5		4		16.947		-3.15		-72.627		Yes		9/3/25 10:39		RTK		29		1.28		0.67		1.09		8573		-1338		Yes		RTK		3D		0.8		2970		1.05		0.672		0.591		2.493				WME		Water Meter

		UP4462		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4462		9/3/25 10:40		3729'16.7245"N		799'16.8321"W		37.2		732791.326		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		79.263		100		29		8		9.506		-1.411		83.388		Yes		9/3/25 10:40		RTK		28		1.28		0.67		1.09		8566		-1338		Yes		RTK		3D		0.6		2970		0.672		0.591		0.512		1.789				WME		Water Meter

		UP4463		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4463		9/3/25 10:41		3729'17.7946"N		799'16.3157"W		116.255		732907.581		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		30.318		100		-5		10		19.67		-0.43		41.471		Yes		9/3/25 10:41		RTK		30		1.29		0.67		1.1		8704		-1338		Yes		RTK		3D		0.6		2970		0.591		0.433		0.433		1.465				WME		Water Meter

		UP4464		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4464		9/3/25 10:42		3729'18.6128"N		799'15.6491"W		98.844		733006.425		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		100		100		-1		7		15.824		0.059		-71.845		Yes		9/3/25 10:42		RTK		29		1.29		0.67		1.11		8792		-1338		Yes		RTK		3D		0.8		2970		0.551		0.433		0.433		1.402				WME		Water Meter

		UP4465		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4465		9/3/25 10:42		3729'19.0252"N		799'15.3383"W		48.745		733055.17		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		36.612		100		11		6		9.319		-0.488		-66.773		Yes		9/3/25 10:42		RTK		28		1.3		0.67		1.11		8828		-1338		Yes		RTK		3D		1.2		2970		0.85		0.672		0.551		2.168				WME		Water Meter

		UP4466		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4466		9/3/25 10:43		3729'20.1416"N		799'14.7730"W		122.059		733177.229		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		20.63		100		-4		10		12.978		-2.759		-37.206		Yes		9/3/25 10:43		RTK		29		1.3		0.67		1.12		8836		-1338		Yes		RTK		3D		0.8		2970		0.85		0.672		0.551		2.168				WME		Water Meter

		UP4467		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4467		9/3/25 10:48		3729'22.1385"N		799'11.1951"W		352.125		733529.354		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		11.194		100		-19		10		11.791		-0.125		55.273		Yes		9/3/25 10:48		RTK		29		1.33		0.67		1.15		8781		-1338		Yes		RTK		3D		0.4		2970		0.672		0.591		0.472		1.789				WME		Water Meter

		UP4468		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4468		9/3/25 10:50		3729'22.0164"N		799'10.3049"W		72.718		733602.073		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		100		100		1		9		19.907		-3.523		44.022		Yes		9/3/25 10:50		RTK		29		1.34		0.67		1.16		8859		-1338		Yes		RTK		3D		0.6		2970		0.472		0.433		0.394		1.282				WME		Water Meter

		UP4469		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4469		9/3/25 10:51		3729'21.5682"N		799'8.7876"W		130.328		733732.401		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		30.84		100		25		11		15.852		-1.265		86.049		Yes		9/3/25 10:51		RTK		29		1.34		0.67		1.16		8974		-1338		Yes		RTK		3D		1.4		2970		0.591		0.512		0.472		1.563				WME		Water Meter

		UP4470		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4470		9/3/25 10:53		3729'20.2843"N		799'7.5871"W		162.187		733894.588		0		UNKNOWN		60		65536		CLASSIC		OMNI PEAK		140		100		100		8		8		12.414		-4.064		-41.638		Yes		9/3/25 10:53		RTK		29		1.35		0.67		1.17		9133		-1338		Yes		RTK		3D		0.8		2970		0.512		0.382		0.394		1.277				WME		Water Meter

		UP4471		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4471		9/3/25 10:54		3729'18.7807"N		799'8.7234"W		177.858		734072.446		0		UNKNOWN		39		65536		CLASSIC		OMNI PEAK		140		94.353		100		2		8		9.438		-2.588		-16.01		Yes		9/3/25 10:54		RTK		28		1.36		0.67		1.18		9084		-1338		Yes		RTK		3D		1		2970		0.591		0.472		0.433		1.513				WME		Water Meter

		UP4472		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4472		9/3/25 10:56		3729'17.9672"N		799'9.6854"W		113.174		734185.62		0		UNKNOWN		63		65536		CLASSIC		OMNI PEAK		140		22.406		100		21		7		15.816		-0.583		12.981		Yes		9/3/25 10:56		RTK		29		1.36		0.67		1.18		9048		-1338		Yes		RTK		3D		1		2970		0.394		0.366		0.394		1.075				WME		Water Meter

		UP4473		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4473		9/3/25 10:57		3729'17.0160"N		799'10.5947"W		121.12		734306.74		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.001		100		65		8		8.887		0.41		-87.798		Yes		9/3/25 10:57		RTK		27		1.37		0.67		1.19		8984		-1338		Yes		RTK		3D		1		2970		0.394		0.386		0.394		1.102				WME		Water Meter

		UP4474		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4474		9/3/25 10:58		3729'16.2533"N		799'11.4153"W		101.736		734408.476		0		UNKNOWN		435		65536		CLASSIC		OMNI PEAK		140		9.741		100		74		7		9.793		-0.491		46.731		Yes		9/3/25 10:58		RTK		27		1.37		0.67		1.19		8923		-1338		Yes		RTK		3D		1.2		2970		0.759		0.551		0.472		1.875				WME		Water Meter

		UP4475		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4475		9/3/25 10:58		3729'15.7521"N		799'12.1144"W		75.846		734484.322		0		UNKNOWN		35		65536		CLASSIC		OMNI PEAK		140		100		100		14		6		6.344		1.409		15.201		Yes		9/3/25 10:58		RTK		30		1.37		0.68		1.19		8876		-1338		Yes		RTK		3D		0.4		2970		0.472		0.433		0.394		1.282				WME		Water Meter

		UP4476		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4476		9/3/25 10:59		3729'15.4676"N		799'12.0292"W		29.665		734513.987		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		6.778		100		-48		9		7.808		5.26		19.856		Yes		9/3/25 10:59		RTK		30		1.37		0.68		1.2		8877		-1338		Yes		RTK		3D		1.2		2970		1.05		0.948		0.63		2.828				WME		Water Meter

		UP4477		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4477		9/3/25 10:59		3729'15.2189"N		799'11.3483"W		60.337		734574.324		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		5.881		100		51		6		7.713		2.621		41.125		Yes		9/3/25 10:59		RTK		30		1.37		0.68		1.2		8873		-1338		Yes		RTK		3D		1		2970		0.672		0.551		0.472		1.738				WME		Water Meter

		UP4478		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4478		9/3/25 11:02		3729'16.5220"N		799'8.8343"W		241.729		734816.054		0		UNKNOWN		19		65536		CLASSIC		OMNI PEAK		140		54.529		100		12		11		12.517		-1.012		-3.511		Yes		9/3/25 11:02		RTK		30		1.38		0.68		1.2		8988		-1338		Yes		RTK		3D		0.8		2970		0.672		0.433		0.394		1.599				WME		Water Meter

		UP4479		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4479		9/3/25 11:07		3729'15.3456"N		799'7.0825"W		184.737		735000.79		0		UNKNOWN		55		65536		CLASSIC		OMNI PEAK		140		69.29		100		12		3		7.475		0.479		-65.671		Yes		9/3/25 11:07		RTK		31		1.21		0.63		1.03		9103		-1338		Yes		RTK		3D		1		2970		0.382		0.339		0.394		1.021				WME		Water Meter

		UP4480		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4480		9/3/25 11:08		3729'14.8593"N		799'6.3230"W		78.565		735079.355		0		UNKNOWN		34		65536		CLASSIC		OMNI PEAK		140		55.986		100		-13		5		11.306		2.268		-35.881		Yes		9/3/25 11:08		RTK		31		1.21		0.63		1.03		9159		-1338		Yes		RTK		3D		0.6		2970		0.472		0.433		0.394		1.282				WME		Water Meter

		UP4481		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4481		9/3/25 11:09		3729'13.6454"N		799'4.6667"W		181.51		735260.865		0		UNKNOWN		30		65536		CLASSIC		OMNI PEAK		140		60.241		100		0		12		8.515		-1.01		-71.288		Yes		9/3/25 11:09		RTK		31		1.21		0.63		1.03		9180		-1338		Yes		RTK		3D		0.6		2970		0.591		0.472		0.394		1.513				WME		Water Meter

		UP4482		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4482		9/3/25 11:10		3729'12.7318"N		799'3.9571"W		108.868		735369.732		0		UNKNOWN		29		65536		CLASSIC		OMNI PEAK		140		56.617		100		-7		11		10.64		-4.082		-34.489		Yes		9/3/25 11:10		RTK		30		1.22		0.65		1.03		9131		-1338		Yes		RTK		3D		0.8		2970		0.433		0.354		0.394		1.119				WME		Water Meter

		UP4483		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4483		9/3/25 11:10		3729'12.0461"N		799'3.3863"W		83.367		735453.099		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		80.861		100		0		11		11.548		3.643		71.127		Yes		9/3/25 11:10		RTK		31		1.21		0.63		1.03		9119		-1338		Yes		RTK		3D		1.2		2970		0.85		0.551		0.512		2.027				WME		Water Meter

		UP4484		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4484		9/3/25 11:20		3729'9.3726"N		799'1.3734"W		315.951		735769.051		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		11.077		100		-2		13		7.3		-3.848		-43.998		Yes		9/3/25 11:20		RTK		31		1.08		0.59		0.9		9259		-1338		Yes		RTK		3D		1.2		2970		0.948		0.672		0.551		2.323				WME		Water Meter

		UP4485		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4485		9/3/25 11:21		3729'5.7565"N		798'58.5579"W		431.226		736200.277		0		UNKNOWN		21		65536		CLASSIC		OMNI PEAK		140		80.149		100		20		9		10.836		-3.762		40.377		Yes		9/3/25 11:21		RTK		31		1.07		0.59		0.9		9469		-1338		Yes		RTK		3D		0.8		2970		2.522		1.774		0.787		6.168				WME		Water Meter

		UP4486		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4486		9/3/25 11:24		3729'3.8525"N		799'2.7597"W		389.524		736589.801		0		UNKNOWN		63		65536		CLASSIC		OMNI PEAK		140		100		100		2		11		15.982		-3.421		5.027		Yes		9/3/25 11:24		RTK		31		1.07		0.59		0.89		9700		-1338		Yes		RTK		3D		0.6		2970		1.512		1.157		0.709		3.808				WME		Water Meter

		UP4487		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4487		9/3/25 11:27		3729'2.0823"N		799'11.5742"W		731.967		737321.768		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		-42		5		7.979		-1.043		-79.196		Yes		9/3/25 11:27		RTK		30		1.07		0.59		0.89		9280		-1338		Yes		RTK		3D		1.2		2970		0.37		0.35		0.394		1.019				WME		Water Meter

		UP4488		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4488		9/3/25 11:27		3729'2.0818"N		799'10.7461"W		66.669		737388.437		0		UNKNOWN		73		65536		CLASSIC		OMNI PEAK		140		61.424		100		-3		10		12.181		-1.787		-90.043		Yes		9/3/25 11:27		RTK		30		1.07		0.59		0.89		9383		-1338		Yes		RTK		3D		1		2970		0.759		0.591		0.433		1.923				WME		Water Meter

		UP4489		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4489		9/3/25 11:28		3729'3.7175"N		799'11.1694"W		169.399		737557.836		0		UNKNOWN		45		65536		CLASSIC		OMNI PEAK		140		77.123		100		-7		9		10.551		3.018		69.836		Yes		9/3/25 11:28		RTK		30		1.06		0.59		0.88		9407		-1338		Yes		RTK		3D		0.8		2970		0.672		0.512		0.433		1.689				WME		Water Meter

		UP4490		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4490		9/3/25 11:30		3729'7.4536"N		799'15.6505"W		523.258		738081.094		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		100		100		4		8		13.822		-2.284		-34.476		Yes		9/3/25 11:30		RTK		31		1.06		0.59		0.88		9282		-1338		Yes		RTK		3D		1.2		2970		0.672		0.512		0.394		1.689				WME		Water Meter

		UP4491		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4491		9/3/25 11:32		3729'9.4831"N		799'19.1393"W		348.24		738429.334		0		UNKNOWN		35		65536		CLASSIC		OMNI PEAK		140		100		100		0		11		12.448		-2.416		-29.847		Yes		9/3/25 11:32		RTK		31		1.06		0.59		0.88		9099		-1338		Yes		RTK		3D		0.4		2970		0.551		0.472		0.394		1.452				WME		Water Meter

		UP4492		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4492		9/3/25 11:33		3729'11.3180"N		799'19.4940"W		188.326		738617.66		0		UNKNOWN		81		65536		CLASSIC		OMNI PEAK		140		32.192		100		5		10		9.407		-3.709		23.555		Yes		9/3/25 11:33		RTK		31		1.05		0.59		0.87		9013		-1338		Yes		RTK		3D		0.6		2970		0.433		0.331		0.394		1.09				WME		Water Meter

		UP4493		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4493		9/3/25 11:34		3729'10.7963"N		799'20.4651"W		94.401		738712.061		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		100		100		-11		10		9.807		1.148		-6.096		Yes		9/3/25 11:34		RTK		32		1.05		0.59		0.87		9024		-1338		Yes		RTK		3D		0.6		2970		1.05		0.948		0.551		2.828				WME		Water Meter

		UP4494		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4494		9/3/25 11:34		3729'10.8279"N		799'20.5737"W		9.31		738721.371		0		UNKNOWN		19		65536		CLASSIC		OMNI PEAK		140		100		100		-6		9		11.485		-0.797		36.191		Yes		9/3/25 11:34		RTK		32		0.97		0.56		0.8		9017		-1338		Yes		RTK		3D		0.8		2970		0.512		0.472		0.394		1.393				WME		Water Meter

		UP4495		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4495		9/3/25 11:37		3729'8.9104"N		799'19.7967"W		204.345		738925.716		0		UNKNOWN		33		65536		CLASSIC		OMNI PEAK		140		79.644		100		-2		7		14.173		-1.014		-73.899		Yes		9/3/25 11:37		RTK		32		1.05		0.59		0.86		9106		-1338		Yes		RTK		3D		1		2970		0.948		0.512		0.472		2.154				WME		Water Meter

		UP4496		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4496		9/3/25 11:39		3729'8.4089"N		799'24.9395"W		417.122		739342.838		0		UNKNOWN		304		65536		CLASSIC		OMNI PEAK		140		44.973		100		-55		6		10.13		3.445		69.482		Yes		9/3/25 11:39		RTK		32		1.09		0.61		0.91		8842		-1338		Yes		RTK		3D		1		2970		0.672		0.551		0.433		1.738				WME		Water Meter

		UP4497		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4497		9/3/25 11:41		3729'11.4794"N		799'25.5121"W		314.896		739657.734		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		40.302		100		10		8		7.021		-0.643		-53.496		Yes		9/3/25 11:41		RTK		32		1.04		0.59		0.85		8864		-1338		Yes		RTK		3D		1		2970		1.05		0.948		0.63		2.828				WME		Water Meter

		UP4498		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4498		9/3/25 11:43		3729'14.2985"N		799'26.4601"W		296.005		739953.739		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		81.524		100		-9		10		8.501		1.031		-65.845		Yes		9/3/25 11:43		RTK		31		1.12		0.63		0.93		8698		-1338		Yes		RTK		3D		0.6		2970		0.759		0.591		0.512		1.923				WME		Water Meter

		UP4499		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4499		9/3/25 11:44		3729'16.1583"N		799'28.4258"W		246.252		740199.991		0		UNKNOWN		21		65536		CLASSIC		OMNI PEAK		140		100		100		0		10		8.556		0.106		-13.083		Yes		9/3/25 11:44		RTK		31		1.08		0.61		0.89		8530		-1338		Yes		RTK		3D		0.4		2970		1.05		0.948		0.591		2.828				WME		Water Meter

		UP4500		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4500		9/3/25 11:45		3729'18.5416"N		799'30.0857"W		276.251		740476.241		0		UNKNOWN		148		65536		CLASSIC		OMNI PEAK		140		71.007		100		6		10		10.683		0.025		33.223		Yes		9/3/25 11:45		RTK		32		1.08		0.61		0.89		8632		-1338		Yes		RTK		3D		1.2		2970		0.551		0.472		0.394		1.452				WME		Water Meter

		UP4501		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4501		9/3/25 13:09		3729'20.7969"N		799'30.8518"W		236.966		740713.207		0		UNKNOWN		45		65536		CLASSIC		OMNI PEAK		140		15.686		100		3		10		12.943		-0.814		25.847		Yes		9/3/25 13:09		RTK		20		1.49		0.71		1.32		8680		-1338		Yes		RTK		3D		0.6		3334		0.759		0.551		0.669		1.875				WME		Water Meter

		UP4502		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4502		9/3/25 13:11		3729'20.9983"N		799'31.2528"W		38.198		740751.405		0		UNKNOWN		42		65536		CLASSIC		OMNI PEAK		140		27.343		100		4		11		9.427		-1.749		42.389		Yes		9/3/25 13:11		RTK		29		1.3		0.62		1.14		8670		-1338		Yes		RTK		3D		5.4		3334		1.157		0.512		0.669		2.531				WME		Water Meter

		UP4503		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4503		9/3/25 13:11		3729'20.8425"N		799'31.9575"W		58.888		740810.293		0		UNKNOWN		33		65536		CLASSIC		OMNI PEAK		140		29.631		100		23		8		8.862		-0.062		73.546		Yes		9/3/25 13:11		RTK		29		1.31		0.62		1.15		8671		-1338		Yes		RTK		3D		1		3334		0.394		0.272		0.394		0.957				WME		Water Meter

		UP4504		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4504		9/3/25 13:11		3729'20.4186"N		799'32.2267"W		48.162		740858.455		0		UNKNOWN		29		65536		CLASSIC		OMNI PEAK		140		100		100		5		3		6.16		-0.338		34.586		Yes		9/3/25 13:11		RTK		29		1.31		0.62		1.15		8697		-1338		Yes		RTK		3D		1		3334		0.591		0.472		0.551		1.513				WME		Water Meter

		UP4505		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4505		9/3/25 13:14		3729'17.4389"N		799'34.8287"W		367.762		741226.217		0		UNKNOWN		117		65536		CLASSIC		OMNI PEAK		140		30.809		100		-19		6		14.717		-2.149		-40.281		Yes		9/3/25 13:14		RTK		29		1.32		0.62		1.16		8329		-1338		Yes		RTK		3D		1.4		3334		0.551		0.394		0.551		1.355				WME		Water Meter

		UP4506		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4506		9/3/25 13:16		3729'16.9325"N		799'36.8545"W		170.978		741397.196		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		38.454		100		29		10		14.941		-2.902		-18.756		Yes		9/3/25 13:16		RTK		30		1.25		0.58		1.11		8196		-1338		Yes		RTK		3D		0.6		3334		0.672		0.472		0.591		1.643				WME		Water Meter

		UP4507		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4507		9/3/25 13:17		3729'17.2289"N		799'32.9975"W		311.941		741709.137		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		1		10		10.714		-0.082		55.521		Yes		9/3/25 13:17		RTK		30		1.25		0.58		1.11		8437		-1338		Yes		RTK		3D		1		3334		0.551		0.433		0.63		1.402				WME		Water Meter

		UP4508		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4508		9/3/25 13:19		3729'17.3352"N		799'30.1932"W		225.997		741935.134		0		UNKNOWN		10		65536		CLASSIC		OMNI PEAK		140		100		100		2		8		7.97		1.691		-36.152		Yes		9/3/25 13:19		RTK		30		1.25		0.58		1.11		8629		-1338		Yes		RTK		3D		0.4		3334		1.27		0.85		0.984		3.057				WME		Water Meter

		UP4509		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4509		9/3/25 13:21		3729'15.6003"N		799'28.8562"W		206.302		742141.436		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		71.736		100		-2		7		12.03		-10.309		1.187		Yes		9/3/25 13:21		RTK		31		1.25		0.58		1.11		8613		-1338		Yes		RTK		3D		0.8		3334		0.472		0.378		0.512		1.21				WME		Water Meter

		UP4510		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4510		9/3/25 13:22		3729'14.3835"N		799'27.7214"W		153.571		742295.007		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		4.904		100		0		13		9.276		2.278		54.017		Yes		9/3/25 13:22		RTK		32		1.25		0.58		1.11		8691		-1338		Yes		RTK		3D		1.2		3334		0.472		0.433		0.551		1.282				WME		Water Meter

		UP4511		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4511		9/3/25 13:26		3729'11.1322"N		799'26.3559"W		347.684		742642.692		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		26.351		100		28		12		8.904		-0.562		-44.726		Yes		9/3/25 13:26		RTK		32		1.24		0.58		1.1		8892		-1338		Yes		RTK		3D		0.4		3334		0.948		0.551		0.787		2.192				WME		Water Meter

		UP4512		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4512		9/3/25 13:27		3729'11.1310"N		799'26.3582"W		0.215		742642.907		0		UNKNOWN		26		65536		CLASSIC		OMNI PEAK		140		100		100		3		10		10.583		0.122		-65.406		Yes		9/3/25 13:27		RTK		32		1.24		0.58		1.1		8892		-1338		Yes		RTK		3D		1		3334		0.591		0.433		0.63		1.465				WME		Water Meter

		UP4513		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4513		9/3/25 13:29		3729'10.9859"N		799'29.2432"W		232.711		742875.618		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		5		12		10.512		5.989		-15.673		Yes		9/3/25 13:29		RTK		32		1.32		0.62		1.17		8802		-1338		Yes		RTK		3D		0.4		3334		0.512		0.335		0.512		1.223				WME		Water Meter

		UP4514		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4514		9/3/25 13:31		3729'12.1962"N		799'32.0201"W		255.046		743130.665		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		100		100		-11		8		9.901		-0.706		76.956		Yes		9/3/25 13:31		RTK		32		1.13		0.55		0.98		8680		-1338		Yes		RTK		3D		0.8		3334		0.551		0.433		0.551		1.402				WME		Water Meter

		UP4515		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4515		9/3/25 13:32		3729'12.9022"N		799'33.9604"W		171.832		743302.497		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		39.595		100		-6		8		13.123		1.256		-37.775		Yes		9/3/25 13:32		RTK		32		1.22		0.57		1.07		8571		-1338		Yes		RTK		3D		0.8		3334		0.512		0.433		0.551		1.341				WME		Water Meter

		UP4516		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4516		9/3/25 13:34		3729'12.4155"N		799'34.5064"W		66.1		743368.597		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		21.247		100		-13		8		8.654		-2.222		-5.388		Yes		9/3/25 13:34		RTK		32		1.29		0.61		1.13		8547		-1338		Yes		RTK		3D		1.2		3334		0.948		0.512		0.906		2.154				WME		Water Meter

		UP4517		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4517		9/3/25 13:37		3729'10.1458"N		799'28.7703"W		515.994		743884.59		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		14.07		100		39		10		8.608		0.766		65.887		Yes		9/3/25 13:37		RTK		32		1.08		0.53		0.94		8758		-1338		Yes		RTK		3D		0.8		3334		0.591		0.433		0.551		1.465				WME		Water Meter

		UP4518		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4518		9/3/25 13:39		3729'8.5570"N		799'26.1508"W		265.414		744150.004		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		100		100		1		12		8.123		1.547		15.967		Yes		9/3/25 13:39		RTK		32		1.19		0.58		1.04		8755		-1338		Yes		RTK		3D		1		3334		0.759		0.512		0.709		1.83				WME		Water Meter

		UP4519		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4519		9/3/25 13:42		3729'7.9716"N		799'25.4240"W		83.369		744233.373		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		-1		11		8.614		-3.264		-11.399		Yes		9/3/25 13:42		RTK		31		1.24		0.57		1.1		8786		-1338		Yes		RTK		3D		1.2		3334		0.759		0.472		0.63		1.787				WME		Water Meter

		UP4520		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4520		9/3/25 13:43		3729'6.7648"N		799'23.5414"W		194.826		744428.199		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		32.732		100		11		9		4.13		3.327		-49.984		Yes		9/3/25 13:43		RTK		31		1.24		0.57		1.1		8872		-1338		Yes		RTK		3D		1.4		3334		0.85		0.472		0.669		1.946				WME		Water Meter

		UP4521		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4521		9/3/25 13:44		3729'6.8499"N		799'22.4226"W		90.476		744518.675		0		UNKNOWN		14		65536		CLASSIC		OMNI PEAK		140		83.006		100		9		6		10.536		-0.701		-37.198		Yes		9/3/25 13:44		RTK		32		1.24		0.57		1.1		8944		-1338		Yes		RTK		3D		0.6		3334		1.27		0.551		0.787		2.77				WME		Water Meter

		UP4522		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4522		9/3/25 13:47		3729'7.2513"N		799'19.7748"W		217.008		744735.683		0		UNKNOWN		44		65536		CLASSIC		OMNI PEAK		140		84.06		100		2		11		9.513		2.647		-17.557		Yes		9/3/25 13:47		RTK		31		1.27		0.59		1.12		9076		-1338		Yes		RTK		3D		0.8		3334		1.64		0.672		0.906		3.545				WME		Water Meter

		UP4523		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4523		9/3/25 14:13		3729'4.3110"N		798'59.0478"W		1695.023		746430.706		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		100		100		6		12		9.381		1.937		-15.519		Yes		9/3/25 14:13		RTK		32		1.22		0.56		1.08		9578		-1338		Yes		RTK		3D		0.8		3334		2.522		0.759		0.709		5.268				WME		Water Meter

		UP4524		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4524		9/3/25 14:15		3728'58.8245"N		798'41.2859"W		1534.415		747965.121		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		3		11		9.94		1.328		2.076		Yes		9/3/25 14:15		RTK		32		1.13		0.53		1		9603		-1338		Yes		RTK		3D		1.6		3334		0.85		0.472		0.551		1.946				WME		Water Meter

		UP4525		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4525		9/3/25 14:16		3728'58.7500"N		798'41.0318"W		21.803		747986.923		0		UNKNOWN		38		65536		CLASSIC		OMNI PEAK		140		74.116		100		0		14		8.408		-1.142		-27.849		Yes		9/3/25 14:16		RTK		30		1.14		0.56		1		9622		-1338		Yes		RTK		3D		1.2		3334		1.388		0.472		0.591		2.933				WME		Water Meter

		UP4526		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4526		9/3/25 14:17		3728'57.9805"N		798'39.8644"W		122.175		748109.098		0		UNKNOWN		15		65536		CLASSIC		OMNI PEAK		140		100		100		-1		9		9.741		-1.188		34.711		Yes		9/3/25 14:17		RTK		32		1.07		0.51		0.94		9707		-1338		Yes		RTK		3D		2		3334		0.394		0.343		0.394		1.044				WME		Water Meter

		UP4527		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4527		9/3/25 14:17		3728'57.9665"N		798'39.8424"W		2.271		748111.369		0		UNKNOWN		81		65536		CLASSIC		OMNI PEAK		140		51.373		100		0		9		11.966		2.244		41.435		Yes		9/3/25 14:17		RTK		32		1.07		0.51		0.94		9709		-1338		Yes		RTK		3D		1		3334		0.551		0.433		0.472		1.402				WME		Water Meter

		UP4528		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4528		9/3/25 14:19		3728'55.7536"N		798'34.2174"W		505.434		748616.803		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		100		100		-3		11		9.361		0.439		21.739		Yes		9/3/25 14:19		RTK		32		1.08		0.53		0.94		9862		-1338		Yes		RTK		3D		1		3334		1.05		0.672		0.669		2.493				WME		Water Meter

		UP4529		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4529		9/3/25 14:22		3728'50.8335"N		798'24.2414"W		945.597		749562.401		0		UNKNOWN		27		65536		CLASSIC		OMNI PEAK		140		100		100		-13		9		9.898		-1.686		63.227		Yes		9/3/25 14:22		RTK		32		1.05		0.51		0.91		10079		-1338		Yes		RTK		3D		0.6		3334		0.672		0.591		0.591		1.789				WME		Water Meter

		UP4530		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4530		9/3/25 14:23		3728'47.5930"N		798'25.2134"W		337.934		749900.334		0		UNKNOWN		47		65536		CLASSIC		OMNI PEAK		140		51.777		100		1		11		8.965		1.962		-86.521		Yes		9/3/25 14:23		RTK		32		1.14		0.55		0.99		9973		-1338		Yes		RTK		3D		0.4		3334		0.512		0.35		0.394		1.241				WME		Water Meter

		UP4531		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4531		9/3/25 14:24		3728'45.9801"N		798'25.9812"W		174.914		750075.248		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		99.912		100		6		11		11.583		-1.773		27.971		Yes		9/3/25 14:24		RTK		32		1.18		0.56		1.04		9906		-1338		Yes		RTK		3D		1		3334		0.512		0.39		0.394		1.287				WME		Water Meter

		UP4532		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4532		9/3/25 14:25		3728'45.0521"N		798'26.6845"W		109.861		750185.109		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		-17		11		11.139		-1.836		31.285		Yes		9/3/25 14:25		RTK		31		1.11		0.53		0.97		9821		-1338		Yes		RTK		3D		1.4		3334		0.551		0.39		0.433		1.35				WME		Water Meter

		UP4533		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4533		9/3/25 14:26		3728'40.0873"N		798'30.9982"W		611.804		750796.913		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		60.949		100		9		10		10.705		-0.669		2.87		Yes		9/3/25 14:26		RTK		31		1.15		0.55		1.01		9838		-1338		Yes		RTK		3D		1.2		3334		0.759		0.472		0.512		1.787				WME		Water Meter

		UP4534		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4534		9/3/25 14:28		3728'40.2373"N		798'34.2729"W		264.084		751060.997		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		140		91.61		100		-1		10		0.762		0.242		-13.073		Yes		9/3/25 14:28		RTK		32		1.07		0.52		0.94		9939		-1338		Yes		RTK		3D		1.2		3334		0.591		0.394		0.394		1.42				WME		Water Meter

		UP4535		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4535		9/3/25 14:29		3728'37.9598"N		798'38.9620"W		442.622		751503.618		0		UNKNOWN		58		65536		CLASSIC		OMNI PEAK		140		100		100		16		8		8.184		5.669		-12.965		Yes		9/3/25 14:29		RTK		31		1.03		0.51		0.9		9665		-1338		Yes		RTK		3D		0.6		3334		0.672		0.512		0.512		1.689				WME		Water Meter

		UP4536		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4536		9/3/25 14:31		3728'36.7525"N		798'50.2183"W		914.489		752418.107		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		13.293		100		-1		13		10.308		-1.876		-81.646		Yes		9/3/25 14:31		FLOAT RTK		32		1.09		0.53		0.95		8501		-1338		Yes		FLOAT RTK		3D		1.4		3334		4.049		2.761		0.709		9.802				WME		Water Meter

		UP4537		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4537		9/3/25 14:32		3728'36.5109"N		798'47.3877"W		229.21		752647.318		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		100		100		-1		11		11.118		-0.035		2.99		Yes		9/3/25 14:32		RTK		32		1.06		0.54		0.91		8712		-1338		Yes		RTK		3D		1.4		3334		0.672		0.472		0.551		1.643				WME		Water Meter

		UP4538		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4538		9/3/25 14:34		3728'36.5264"N		798'44.3244"W		246.634		752893.952		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		100		100		-1		13		13.654		-1.861		-66.22		Yes		9/3/25 14:34		RTK		32		1.09		0.55		0.94		9058		-1338		Yes		RTK		3D		0.8		3334		0.591		0.472		0.472		1.513				WME		Water Meter

		UP4539		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4539		9/3/25 14:35		3728'36.5643"N		798'41.0246"W		265.7		753159.651		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		100		100		2		10		13.502		0.211		-3.623		Yes		9/3/25 14:35		RTK		31		1.08		0.53		0.94		9407		-1338		Yes		RTK		3D		1		3334		0.759		0.512		0.551		1.83				WME		Water Meter

		UP4540		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4540		9/3/25 14:36		3728'38.5904"N		798'37.3330"W		361.364		753521.015		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		100		100		-1		10		9.305		0.555		85.707		Yes		9/3/25 14:36		FLOAT RTK		32		1.11		0.55		0.97		9796		-1338		Yes		FLOAT RTK		3D		1.2		3334		34.97		25.768		5.512		86.877				WME		Water Meter

		UP4541		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4541		9/3/25 14:38		3728'37.7268"N		798'30.0755"W		590.836		754111.851		0		UNKNOWN		18		65536		CLASSIC		OMNI PEAK		140		100		100		-2		8		12.16		-3.079		-4.515		Yes		9/3/25 14:38		FLOAT RTK		32		0.98		0.5		0.84		9531		-1338		Yes		FLOAT RTK		3D		0.4		3334		40.492		29.449		5.906		100.137				WME		Water Meter

		UP4542		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4542		9/3/25 14:39		3728'36.2503"N		798'28.6225"W		190.054		754301.904		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		0		13		9.207		-0.702		12.97		Yes		9/3/25 14:39		RTK		32		1.03		0.51		0.9		9377		-1338		Yes		RTK		3D		0.6		3334		0.551		0.386		0.394		1.346				WME		Water Meter

		UP4543		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4543		9/3/25 14:40		3728'31.8389"N		798'28.8952"W		448.077		754749.982		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		14.326		100		-14		9		5.406		3.849		25.886		Yes		9/3/25 14:40		RTK		32		1.07		0.53		0.94		9083		-1338		Yes		RTK		3D		0.6		3334		0.672		0.591		0.512		1.789				WME		Water Meter

		UP4544		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4544		9/3/25 14:41		3728'31.7719"N		798'28.5518"W		28.47		754778.452		0		UNKNOWN		14		65536		CLASSIC		OMNI PEAK		140		100		100		11		8		10.252		4.132		-25.463		Yes		9/3/25 14:41		RTK		32		1.01		0.51		0.87		9112		-1338		Yes		RTK		3D		1		3334		0.948		0.672		0.591		2.323				WME		Water Meter

		UP4545		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4545		9/3/25 14:42		3728'33.3998"N		798'28.0619"W		169.803		754948.255		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		100		100		-2		11		5.564		-0.566		12.881		Yes		9/3/25 14:42		FLOAT RTK		32		0.95		0.49		0.81		9265		-1338		Yes		FLOAT RTK		3D		1.4		3334		36.811		27.608		5.512		92.028				WME		Water Meter

		UP4546		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4546		9/3/25 14:43		3728'35.7337"N		798'28.0448"W		236.779		755185.034		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		33.256		100		-9		10		10.26		-0.151		-3.774		Yes		9/3/25 14:43		FLOAT RTK		32		0.96		0.5		0.82		9484		-1338		Yes		FLOAT RTK		3D		1.4		3334		40.492		34.97		5.906		107.006				WME		Water Meter

		UP4547		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		4547		9/3/25 14:44		3728'38.2779"N		798'29.8894"W		297.782		755482.816		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.233		100		6		7		12.242		-1.984		-25.784		Yes		9/3/25 14:44		DGPS SPS VALID		31		1.06		0.53		0.92		9699		-1338		Yes		DIFFERENTIAL		3D		1.4		3334		15.307		12.437		16.535		39.445				WME		Water Meter

		UP4548		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4548		9/3/25 14:44		3728'38.2893"N		798'29.9082"W		1.906		755484.723		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.423		100		-11		9		13.491		-0.705		64.974		Yes		9/3/25 14:44		FLOAT RTK		32		1		0.51		0.86		9687		-1338		Yes		FLOAT RTK		3D		1		3334		36.811		23.927		4.724		87.808				WME		Water Meter

		UP4549		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4549		9/3/25 14:46		3728'44.7484"N		798'26.0715"W		724.428		756209.151		0		UNKNOWN		23		65536		CLASSIC		OMNI PEAK		140		99.79		100		16		9		11.177		-1.684		-12.255		Yes		9/3/25 14:46		RTK		32		0.98		0.52		0.83		9801		-1338		Yes		RTK		3D		1.2		3334		0.512		0.35		0.394		1.241				WME		Water Meter

		UP4550		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4550		9/3/25 14:48		3728'43.6305"N		798'20.3688"W		472.914		756682.065		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		14.003		100		1		8		9.616		-1.031		-2.604		Yes		9/3/25 14:48		RTK		32		1.01		0.53		0.87		9516		-1338		Yes		RTK		3D		0.8		3334		0.512		0.433		0.433		1.341				WME		Water Meter

		UP4551		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4551		9/3/25 14:49		3728'42.0848"N		798'18.5567"W		214.181		756896.246		0		UNKNOWN		43		65536		CLASSIC		OMNI PEAK		140		68.66		100		16		10		9.015		-6.269		-35.607		Yes		9/3/25 14:49		RTK		32		0.96		0.5		0.82		9412		-1338		Yes		RTK		3D		1.2		3334		0.433		0.315		0.394		1.071				WME		Water Meter

		UP4552		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4552		9/3/25 14:52		3728'47.5967"N		798'24.4020"W		730.857		757627.103		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		42.434		100		1		11		10.709		0.357		88.555		Yes		9/3/25 14:52		RTK		32		0.93		0.49		0.79		9983		-1338		Yes		RTK		3D		1.4		3334		0.433		0.311		0.394		1.066				WME		Water Meter

		UP4553		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4553		9/3/25 14:52		3728'49.4387"N		798'23.9383"W		190.567		757817.67		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		1		13		9.585		-0.979		-8.411		Yes		9/3/25 14:52		RTK		32		1		0.52		0.85		9996		-1338		Yes		RTK		3D		1.6		3334		0.591		0.433		0.394		1.465				WME		Water Meter

		UP4554		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4554		9/3/25 14:54		3728'51.7454"N		798'23.1187"W		243.132		758060.802		0		UNKNOWN		42		65536		CLASSIC		OMNI PEAK		140		100		100		-2		12		5.588		-0.72		-46.206		Yes		9/3/25 14:54		RTK		32		0.96		0.51		0.81		10129		-1338		Yes		RTK		3D		1.6		3334		0.591		0.472		0.512		1.513				WME		Water Meter

		UP4555		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4555		9/3/25 14:56		3728'53.5958"N		798'20.6010"W		276.271		758337.073		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		100		100		0		12		11.567		0.601		33.711		Yes		9/3/25 14:56		RTK		32		0.98		0.54		0.81		10183		-1338		Yes		RTK		3D		1.6		3334		0.672		0.433		0.433		1.599				WME		Water Meter

		UP4556		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4556		9/3/25 14:57		3728'54.0630"N		798'15.6588"W		400.69		758737.764		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		27.387		100		4		9		13.512		1.8		56.384		Yes		9/3/25 14:57		RTK		32		0.91		0.49		0.77		10403		-1338		Yes		RTK		3D		0.8		3334		0.759		0.472		0.433		1.787				WME		Water Meter

		UP4557		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4557		9/3/25 14:59		3728'54.6881"N		798'11.6595"W		328.151		759065.914		0		UNKNOWN		43		65536		CLASSIC		OMNI PEAK		140		57.964		100		0		12		5.365		-2.412		-46.368		Yes		9/3/25 14:59		RTK		32		0.95		0.51		0.8		10428		-1338		Yes		RTK		3D		1		3334		1.05		0.672		0.63		2.493				WME		Water Meter

		UP4558		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4558		9/3/25 15:00		3728'54.9374"N		798'9.7068"W		159.224		759225.138		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		100		13		9		11.986		0.559		-82.521		Yes		9/3/25 15:00		RTK		32		1.01		0.55		0.84		10478		-1338		Yes		RTK		3D		0.6		3334		0.472		0.433		0.394		1.282				WME		Water Meter

		UP4559		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4559		9/3/25 15:01		3728'55.5452"N		798'7.9731"W		152.585		759377.723		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		24.174		100		0		11		11.615		-0.856		30.94		Yes		9/3/25 15:01		FLOAT RTK		31		1.02		0.57		0.85		10554		-1338		Yes		FLOAT RTK		3D		0.6		3334		3.497		2.577		0.472		8.688				WME		Water Meter

		UP4560		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4560		9/3/25 15:04		3728'56.8077"N		798'5.5469"W		233.568		759611.291		0		UNKNOWN		266		65536		CLASSIC		OMNI PEAK		140		56.015		100		0		11		7.505		1.633		87.49		Yes		9/3/25 15:04		RTK		32		1		0.55		0.83		10595		-1338		Yes		RTK		3D		0.8		3334		0.948		0.472		0.512		2.118				WME		Water Meter

		UP4561		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4561		9/3/25 15:04		3728'57.3645"N		798'4.7619"W		84.764		759696.056		0		UNKNOWN		65		65536		CLASSIC		OMNI PEAK		140		100		100		-3		11		11.2		2.254		-17.508		Yes		9/3/25 15:04		RTK		32		1.05		0.56		0.88		10629		-1338		Yes		RTK		3D		0.8		3334		1.64		0.948		0.709		3.789				WME		Water Meter

		UP4562		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4562		9/3/25 15:05		3728'53.9666"N		798'3.5521"W		358.213		760054.268		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		6.203		98		1		9		8.892		0.578		33.077		Yes		9/3/25 15:05		RTK		32		1.07		0.58		0.9		10271		-1338		Yes		RTK		3D		1		3334		1.157		0.472		0.591		2.5				WME		Water Meter

		UP4563		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4563		9/3/25 15:06		3728'52.9714"N		798'3.5829"W		100.995		760155.264		0		UNKNOWN		143		65536		CLASSIC		OMNI PEAK		140		77.579		99		-11		6		5.585		-4.88		46.286		Yes		9/3/25 15:06		RTK		32		1.05		0.56		0.89		10163		-1338		Yes		RTK		3D		1		3334		0.759		0.551		0.512		1.875				WME		Water Meter

		UP4564		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4564		9/3/25 15:07		3728'51.9587"N		798'3.6832"W		103.056		760258.32		0		UNKNOWN		287		65536		CLASSIC		OMNI PEAK		140		61.326		99		-1		8		9.799		-2.712		23.663		Yes		9/3/25 15:07		FLOAT RTK		32		0.96		0.54		0.8		10050		-1338		Yes		FLOAT RTK		3D		1.4		3334		5.154		2.945		0.709		11.871				WME		Water Meter

		UP4565		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4565		9/3/25 15:08		3728'51.0956"N		798'3.7593"W		87.768		760346.088		0		UNKNOWN		24		65536		CLASSIC		OMNI PEAK		140		100		99		0		10		7.443		-5.182		-32.127		Yes		9/3/25 15:08		RTK		32		0.98		0.55		0.82		9954		-1338		Yes		RTK		3D		1.6		3334		0.512		0.472		0.472		1.393				WME		Water Meter

		UP4566		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4566		9/3/25 15:08		3728'50.1006"N		798'3.9210"W		101.788		760447.876		0		UNKNOWN		25		65536		CLASSIC		OMNI PEAK		140		100		99		9		13		5.544		-1.776		1.693		Yes		9/3/25 15:08		RTK		32		1.09		0.57		0.93		9846		-1338		Yes		RTK		3D		1.2		3334		1.157		0.672		0.669		2.677				WME		Water Meter

		UP4567		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4567		9/3/25 15:09		3728'48.7210"N		798'3.3728"W		146.751		760594.627		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		35.572		99		0		13		8.719		-0.208		38.219		Yes		9/3/25 15:09		RTK		31		1.09		0.58		0.92		9726		-1338		Yes		RTK		3D		0.8		3334		0.512		0.343		0.394		1.232				WME		Water Meter

		UP4568		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4568		9/3/25 15:10		3728'49.0644"N		798'3.0198"W		44.957		760639.583		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		11.669		99		6		9		12.812		-0.235		54.296		Yes		9/3/25 15:10		RTK		32		1.08		0.6		0.9		9755		-1338		Yes		RTK		3D		1		3334		0.672		0.512		0.472		1.689				WME		Water Meter

		UP4569		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4569		9/3/25 15:11		3728'50.1527"N		798'3.1017"W		110.602		760750.186		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		99		0		10		10.908		-0.582		53.784		Yes		9/3/25 15:11		RTK		32		1.06		0.57		0.89		9846		-1338		Yes		RTK		3D		1.4		3334		1.157		0.591		0.669		2.599				WME		Water Meter

		UP4570		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4570		9/3/25 15:13		3728'51.9591"N		798'2.9507"W		183.665		760933.85		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		30.403		99		0		12		11.14		-3.119		-68.611		Yes		9/3/25 15:13		RTK		32		1.05		0.58		0.88		10052		-1338		Yes		RTK		3D		1.4		3334		0.551		0.512		0.472		1.504				WME		Water Meter

		UP4571		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4571		9/3/25 15:14		3728'52.8625"N		798'2.7956"W		92.499		761026.35		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		100		98		-31		6		11.403		0.015		-27.44		Yes		9/3/25 15:14		RTK		32		1.12		0.62		0.94		10156		-1338		Yes		RTK		3D		1		3334		1.157		0.472		0.551		2.5				WME		Water Meter

		UP4572		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4572		9/3/25 15:15		3728'54.1489"N		798'2.7573"W		130.542		761156.891		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		100		98		-2		11		8.563		0.545		-76.484		Yes		9/3/25 15:15		RTK		32		1.14		0.6		0.97		10309		-1338		Yes		RTK		3D		1.2		3334		1.05		0.551		0.551		2.372				WME		Water Meter

		UP4573		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4573		9/3/25 15:17		3728'55.3759"N		798'2.8513"W		124.71		761281.601		0		UNKNOWN		202		65536		CLASSIC		OMNI PEAK		140		50.59		98		6		10		14.233		-4.103		-45.613		Yes		9/3/25 15:17		RTK		32		1.04		0.58		0.87		10439		-1338		Yes		RTK		3D		0.6		3334		0.591		0.472		0.433		1.513				WME		Water Meter

		UP4574		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4574		9/3/25 15:18		3728'57.5335"N		798'3.0384"W		219.405		761501.006		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		69.598		99		1		12		13.478		2.154		-33.144		Yes		9/3/25 15:18		RTK		32		1.02		0.57		0.85		10595		-1338		Yes		RTK		3D		1.4		3334		0.85		0.472		0.472		1.946				WME		Water Meter

		UP4575		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4575		9/3/25 15:20		3729'2.3109"N		797'57.8073"W		642.069		762143.075		0		UNKNOWN		143		65536		CLASSIC		OMNI PEAK		140		23.516		98		0		11		17.02		-1.777		-53.192		Yes		9/3/25 15:20		RTK		32		1.03		0.58		0.85		10465		-1339		Yes		RTK		3D		0.8		3334		1.388		0.759		0.906		3.164				WME		Water Meter

		UP4576		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4576		9/3/25 15:21		3729'2.6698"N		797'56.6767"W		98.035		762241.11		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		92.062		98		0		13		12.538		-2.556		2.741		Yes		9/3/25 15:21		RTK		32		1.01		0.57		0.84		10486		-1339		Yes		RTK		3D		1		3334		0.85		0.472		0.472		1.946				WME		Water Meter

		UP4577		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4577		9/3/25 15:22		3729'2.8842"N		797'55.1642"W		123.682		762364.792		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		52.057		98		4		11		11.935		0.748		-32.298		Yes		9/3/25 15:22		RTK		32		1.02		0.58		0.84		10548		-1339		Yes		RTK		3D		1.2		3334		0.948		0.512		0.512		2.154				WME		Water Meter

		UP4578		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4578		9/3/25 15:23		3729'3.0168"N		797'53.8352"W		107.83		762472.622		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		97		3		9		11.705		-1.281		-11.351		Yes		9/3/25 15:23		RTK		32		1.02		0.58		0.84		10594		-1339		Yes		RTK		3D		0.8		3334		0.472		0.315		0.394		1.136				WME		Water Meter

		UP4579		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4579		9/4/25 7:23		3728'58.0923"N		797'51.8225"W		525.206		762997.829		0		UNKNOWN		43		65536		CLASSIC		OMNI PEAK		140		83.509		100		25		10		7.388		2.478		22.422		Yes		9/4/25 7:23		RTK		32		0.97		0.51		0.82		10344		-1339		Yes		RTK		3D		0.8		3649		3.992		2.207		0.906		9.123				WME		Water Meter

		UP4580		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4580		9/4/25 7:24		3728'56.6935"N		797'51.4408"W		145.198		763143.026		0		UNKNOWN		41		65536		CLASSIC		OMNI PEAK		140		12.427		100		-10		10		9.066		4.675		89.338		Yes		9/4/25 7:24		FLOAT RTK		32		1.03		0.53		0.88		10551		-1339		Yes		FLOAT RTK		3D		1.6		3649		13.068		7.914		1.575		30.555				WME		Water Meter

		UP4581		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		4581		9/4/25 7:25		3728'55.6785"N		797'51.2360"W		104.291		763247.317		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		6.157		100		4		8		9.73		0.528		40.525		Yes		9/4/25 7:25		RTK		29		1.12		0.58		0.96		10384		-1339		Yes		RTK		3D		1.2		3649		1.64		0.672		0.63		3.545				WME		Water Meter

		UP4582		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4582		9/4/25 7:25		3728'55.6818"N		797'51.2351"W		0.343		763247.661		0		UNKNOWN		180		65536		CLASSIC		OMNI PEAK		140		5.485		100		-56		8		12.178		-0.243		25.704		Yes		9/4/25 7:25		RTK		31		1.04		0.55		0.89		10386		-1339		Yes		RTK		3D		4		3649		1.157		0.85		0.551		2.873				WME		Water Meter

		UP4583		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4583		9/4/25 7:26		3728'54.3240"N		797'51.0742"W		138.353		763386.014		0		UNKNOWN		865		65536		CLASSIC		OMNI PEAK		140		10.3		100		3		8		15.141		0.387		-77.972		Yes		9/4/25 7:26		RTK		32		1.03		0.53		0.88		10429		-1339		Yes		RTK		3D		1		3649		1.913		0.948		0.709		4.27				WME		Water Meter

		UP4584		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4584		9/4/25 7:27		3728'53.3127"N		797'51.0460"W		102.622		763488.636		0		UNKNOWN		56		65536		CLASSIC		OMNI PEAK		140		56.187		100		6		11		12.096		0.388		-3.612		Yes		9/4/25 7:27		RTK		32		1.03		0.54		0.88		10397		-1339		Yes		RTK		3D		0.8		3649		1.05		0.672		0.512		2.493				WME		Water Meter

		UP4585		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4585		9/4/25 7:28		3728'52.0646"N		797'51.4051"W		129.882		763618.518		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		11.632		100		-63		5		8.137		-2.15		88.846		Yes		9/4/25 7:28		RTK		32		1.05		0.55		0.89		10305		-1339		Yes		RTK		3D		0.8		3649		1.512		1.05		0.827		3.681				WME		Water Meter

		UP4586		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4586		9/4/25 7:29		3728'51.3542"N		797'51.7626"W		77.602		763696.119		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		62.746		100		-6		11		12.73		-3.198		-31.289		Yes		9/4/25 7:29		RTK		32		1.07		0.56		0.91		10248		-1339		Yes		RTK		3D		1.8		3649		1.157		1.05		0.669		3.125				WME		Water Meter

		UP4587		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4587		9/4/25 7:32		3728'50.2875"N		797'52.2766"W		115.862		763811.982		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		4.375		100		-5		8		10.717		4.901		46.311		Yes		9/4/25 7:32		FLOAT RTK		32		0.94		0.5		0.79		10132		-1339		Yes		FLOAT RTK		3D		1		3649		8.835		7.546		1.417		23.238				WME		Water Meter

		UP4588		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4588		9/4/25 7:33		3728'49.4610"N		797'52.6510"W		89.103		763901.085		0		UNKNOWN		16		65536		CLASSIC		OMNI PEAK		140		10.911		100		9		8		9.735		1.576		-56.067		Yes		9/4/25 7:33		RTK		32		0.99		0.52		0.84		9989		-1339		Yes		RTK		3D		1		3649		0.759		0.512		0.433		1.83				WME		Water Meter

		UP4589		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4589		9/4/25 7:35		3728'48.7161"N		797'53.1132"W		84.231		763985.315		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		46.153		100		1		10		9.086		-1.84		9.146		Yes		9/4/25 7:35		RTK		32		1.16		0.6		0.99		9907		-1339		Yes		RTK		3D		1.6		3649		0.472		0.394		0.394		1.23				WME		Water Meter

		UP4590		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4590		9/4/25 7:36		3728'47.6974"N		797'53.5838"W		110.068		764095.383		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		29.003		100		-4		10		11.347		0.335		54.208		Yes		9/4/25 7:36		RTK		32		1.04		0.56		0.87		9780		-1339		Yes		RTK		3D		1		3649		2.522		1.913		1.024		6.332				WME		Water Meter

		UP4591		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4591		9/4/25 7:36		3728'46.6873"N		797'54.1084"W		110.843		764206.226		0		UNKNOWN		28		65536		CLASSIC		OMNI PEAK		140		52.853		100		-8		6		11.148		-1.319		62.276		Yes		9/4/25 7:36		RTK		32		1.02		0.54		0.86		9662		-1339		Yes		RTK		3D		0.8		3649		0.551		0.472		0.472		1.452				WME		Water Meter

		UP4592		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4592		9/4/25 7:39		3728'46.0032"N		797'56.2615"W		186.716		764392.942		0		UNKNOWN		31		65536		CLASSIC		OMNI PEAK		140		11.756		100		-9		5		14.09		-0.388		75.746		Yes		9/4/25 7:39		RTK		31		1.02		0.54		0.86		9578		-1339		Yes		RTK		3D		1.2		3649		0.672		0.472		0.394		1.643				WME		Water Meter

		UP4593		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4593		9/4/25 7:40		3728'47.9544"N		797'57.2353"W		212.908		764605.849		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		24.843		100		4		12		9.959		3.983		-5.032		Yes		9/4/25 7:40		FLOAT RTK		31		1.06		0.58		0.89		9641		-1339		Yes		FLOAT RTK		3D		1.6		3649		23.927		15.645		3.268		57.176				WME		Water Meter

		UP4594		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4594		9/4/25 7:43		3728'49.4786"N		797'57.2344"W		154.629		764760.479		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		19.101		100		2		9		27.455		-4.277		-21.699		Yes		9/4/25 7:43		FLOAT RTK		32		1.05		0.58		0.87		9620		-1339		Yes		FLOAT RTK		3D		1.6		3649		9.939		5.338		1.299		22.563				WME		Water Meter

		UP4595		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4595		9/4/25 7:43		3728'50.3264"N		797'57.1885"W		86.09		764846.568		0		UNKNOWN		537		65536		CLASSIC		OMNI PEAK		140		8.332		100		0		11		27.9		-0.769		-18.497		Yes		9/4/25 7:43		RTK		32		1.1		0.58		0.93		9681		-1339		Yes		RTK		3D		1.8		3649		0.591		0.551		0.591		1.616				WME		Water Meter

		UP4596		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4596		9/4/25 7:44		3728'51.2311"N		797'57.0582"W		92.381		764938.949		0		UNKNOWN		34		65536		CLASSIC		OMNI PEAK		140		13.803		100		-5		9		14.609		1.279		-52.038		Yes		9/4/25 7:44		RTK		32		1.09		0.58		0.93		9721		-1339		Yes		RTK		3D		1		3649		1.27		1.05		0.827		3.296				WME		Water Meter

		UP4597		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4597		9/4/25 7:47		3728'55.2750"N		797'56.6722"W		411.424		765350.374		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		23.044		100		5		8		10.254		-1.15		-51.139		Yes		9/4/25 7:47		FLOAT RTK		32		1.14		0.61		0.96		9719		-1339		Yes		FLOAT RTK		3D		1		3649		3.129		2.577		0.787		8.107				WME		Water Meter

		UP4598		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4598		9/4/25 7:48		3728'52.8285"N		797'57.4534"W		256.042		765606.415		0		UNKNOWN		19		65536		CLASSIC		OMNI PEAK		140		15.247		100		-11		10		10.049		0.92		-78.141		Yes		9/4/25 7:48		RTK		32		1.15		0.65		0.95		9761		-1339		Yes		RTK		3D		1.4		3649		1.157		0.85		0.787		2.873				WME		Water Meter

		UP4599		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4599		9/4/25 7:49		3728'51.8887"N		797'57.7158"W		97.65		765704.065		0		UNKNOWN		10		65536		CLASSIC		OMNI PEAK		140		40.705		100		-4		13		12.922		-1.713		48.44		Yes		9/4/25 7:49		RTK		32		1.07		0.58		0.9		9721		-1339		Yes		RTK		3D		0.8		3649		0.433		0.37		0.394		1.139				WME		Water Meter

		UP4600		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4600		9/4/25 7:51		3728'50.5039"N		797'57.8814"W		141.122		765845.187		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		36.534		100		7		12		8.627		-1.532		2.35		Yes		9/4/25 7:51		RTK		31		1.16		0.6		0.99		9626		-1339		Yes		RTK		3D		1		3649		0.672		0.591		0.591		1.789				WME		Water Meter

		UP4601		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4601		9/4/25 7:52		3728'49.4506"N		797'58.0040"W		107.316		765952.503		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		1.056		100		-9		9		10.966		-0.18		44.507		Yes		9/4/25 7:52		RTK		31		1.22		0.62		1.05		9563		-1339		Yes		RTK		3D		1.6		3649		1.388		1.05		0.945		3.481				WME		Water Meter

		UP4602		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4602		9/4/25 7:52		3728'48.2807"N		797'57.9791"W		118.702		766071.205		0		UNKNOWN		26		65536		CLASSIC		OMNI PEAK		140		9.1		100		1		11		8.161		-2.208		77.569		Yes		9/4/25 7:52		RTK		32		1.06		0.58		0.89		9562		-1339		Yes		RTK		3D		2		3649		1.27		0.759		0.709		2.959				WME		Water Meter

		UP4603		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4603		9/4/25 7:53		3728'47.6036"N		797'57.8428"W		69.561		766140.766		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		3.565		100		-28		6		9.868		1.562		18.825		Yes		9/4/25 7:53		RTK		32		1.14		0.6		0.96		9552		-1339		Yes		RTK		3D		1.2		3649		1.05		0.672		0.748		2.493				WME		Water Meter

		UP4604		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4604		9/4/25 7:54		3728'46.5182"N		797'57.7414"W		110.414		766251.18		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		4.014		100		-15		8		12.404		0.475		62.941		Yes		9/4/25 7:54		RTK		32		1.06		0.58		0.88		9527		-1339		Yes		RTK		3D		1.4		3649		0.512		0.472		0.433		1.393				WME		Water Meter

		UP4605		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4605		9/4/25 7:58		3728'45.5190"N		798'0.2774"W		227.946		766479.126		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		88.601		100		-4		13		18.582		-2.268		28.737		Yes		9/4/25 7:58		FLOAT RTK		31		1.12		0.61		0.95		9231		-1339		Yes		FLOAT RTK		3D		1.2		3649		2.393		2.393		0.433		6.768				WME		Water Meter

		UP4606		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4606		9/4/25 7:59		3728'44.2560"N		798'2.1029"W		194.985		766674.111		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		5.246		100		-14		11		8.743		-0.039		11.535		Yes		9/4/25 7:59		FLOAT RTK		32		1.11		0.61		0.92		9068		-1338		Yes		FLOAT RTK		3D		0.8		3649		4.969		3.129		0.787		11.745				WME		Water Meter

		UP4607		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4607		9/4/25 7:59		3728'44.2474"N		798'2.0755"W		2.376		766676.487		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		1.566		100		-5		5		11.534		-1.863		22.005		Yes		9/4/25 7:59		FLOAT RTK		32		1.12		0.61		0.94		9067		-1338		Yes		FLOAT RTK		3D		1		3649		3.497		2.577		0.669		8.688				WME		Water Meter

		UP4608		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4608		9/4/25 8:01		3728'44.8003"N		798'0.6430"W		128.248		766804.735		0		UNKNOWN		30		65536		CLASSIC		OMNI PEAK		140		21.351		100		0		11		15.397		1.993		6.851		Yes		9/4/25 8:01		RTK		32		1.09		0.59		0.91		9179		-1338		Yes		RTK		3D		1.8		3649		1.05		0.551		0.551		2.372				WME		Water Meter

		UP4609		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4609		9/4/25 8:03		3728'44.9232"N		797'59.1209"W		123.176		766927.911		0		UNKNOWN		15		65536		CLASSIC		OMNI PEAK		140		26.238		100		6		11		13.074		-0.087		80.002		Yes		9/4/25 8:03		RTK		32		1.06		0.58		0.88		9339		-1339		Yes		RTK		3D		1.6		3649		1.05		0.472		0.472		2.303				WME		Water Meter

		UP4610		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4610		9/4/25 8:03		3728'45.1107"N		797'58.1791"W		78.17		767006.081		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		16.143		100		-4		6		16.549		1.568		-79.94		Yes		9/4/25 8:03		RTK		31		1.06		0.58		0.88		9428		-1339		Yes		RTK		3D		1.2		3649		0.85		0.551		0.551		2.027				WME		Water Meter

		UP4611		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4611		9/4/25 8:05		3728'45.3743"N		797'56.5286"W		135.548		767141.629		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		9.649		100		7		10		12.133		0.221		16.284		Yes		9/4/25 8:05		RTK		32		1.05		0.58		0.88		9504		-1339		Yes		RTK		3D		0.8		3649		1.64		1.05		0.787		3.895				WME		Water Meter

		UP4612		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4612		9/4/25 8:06		3728'45.4807"N		797'55.0706"W		117.871		767259.5		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		82.457		100		4		10		11.293		-1.462		-66.698		Yes		9/4/25 8:06		RTK		32		1.05		0.58		0.88		9537		-1339		Yes		RTK		3D		2.4		3649		1.388		1.05		0.787		3.481				WME		Water Meter

		UP4613		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4613		9/4/25 8:07		3728'45.4069"N		797'54.3047"W		62.113		767321.613		0		UNKNOWN		26		65536		CLASSIC		OMNI PEAK		140		86.25		100		-4		3		11.818		-0.341		41.033		Yes		9/4/25 8:07		RTK		32		1.05		0.58		0.87		9552		-1339		Yes		RTK		3D		1.6		3649		0.591		0.512		0.472		1.563				WME		Water Meter

		UP4614		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4614		9/4/25 8:08		3728'45.4665"N		797'51.2003"W		250.006		767571.619		0		UNKNOWN		57		65536		CLASSIC		OMNI PEAK		140		34.515		100		0		10		9.926		-0.048		-21.344		Yes		9/4/25 8:09		RTK		30		1.2		0.64		1.01		9512		-1339		Yes		RTK		3D		1.4		3649		1.05		0.85		0.709		2.702				WME		Water Meter

		UP4615		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4615		9/4/25 8:09		3728'45.2774"N		797'50.1634"W		85.655		767657.274		0		UNKNOWN		22		65536		CLASSIC		OMNI PEAK		140		13.629		100		179		6		11.985		-3.269		86.03		Yes		9/4/25 8:09		RTK		31		1.12		0.6		0.94		9566		-1339		Yes		RTK		3D		1.2		3649		0.551		0.472		0.512		1.452				WME		Water Meter

		UP4616		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4616		9/4/25 8:10		3728'45.8357"N		797'49.2794"W		90.954		767748.228		0		UNKNOWN		14		65536		CLASSIC		OMNI PEAK		140		39.679		100		-4		9		7.186		-0.705		28.283		Yes		9/4/25 8:10		RTK		30		1.06		0.61		0.87		9566		-1339		Yes		RTK		3D		2		3649		1.512		0.948		0.748		3.568				WME		Water Meter

		UP4617		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4617		9/4/25 8:11		3728'45.8397"N		797'49.2783"W		0.414		767748.642		0		UNKNOWN		490		65536		CLASSIC		OMNI PEAK		140		12.347		100		-11		10		10.867		2.708		69.816		Yes		9/4/25 8:11		RTK		31		1.04		0.59		0.86		9573		-1339		Yes		RTK		3D		1.2		3649		2.058		1.27		0.945		4.837				WME		Water Meter

		UP4618		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4618		9/4/25 8:11		3728'46.2767"N		797'50.1023"W		79.783		767828.425		0		UNKNOWN		28		65536		CLASSIC		OMNI PEAK		140		100		100		-12		11		14.307		6.09		10.952		Yes		9/4/25 8:12		RTK		31		1.06		0.6		0.88		9599		-1339		Yes		RTK		3D		1.6		3649		0.591		0.551		0.63		1.616				WME		Water Meter

		UP4619		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4619		9/4/25 8:13		3728'46.0221"N		797'53.0016"W		234.843		768063.268		0		UNKNOWN		18		65536		CLASSIC		OMNI PEAK		140		52.269		100		10		7		17.275		-6.139		-59.314		Yes		9/4/25 8:13		RTK		32		1.11		0.6		0.93		9541		-1339		Yes		RTK		3D		1.4		3649		1.388		0.948		0.748		3.362				WME		Water Meter

		UP4620		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4620		9/4/25 8:15		3728'47.6234"N		797'52.6817"W		164.483		768227.751		0		UNKNOWN		38		65536		CLASSIC		OMNI PEAK		140		100		100		-6		5		15.678		-2.629		1.233		Yes		9/4/25 8:15		RTK		30		1.1		0.6		0.92		9763		-1339		Yes		RTK		3D		28.4		3649		6.047		3.79		1.535		14.274				WME		Water Meter

		UP4621		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4621		9/4/25 8:16		3728'48.6456"N		797'52.3029"W		108.096		768335.848		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		100		100		-8		3		10.684		-0.244		23.539		Yes		9/4/25 8:16		RTK		30		1.1		0.61		0.92		9890		-1339		Yes		RTK		3D		2.4		3649		2.058		1.157		0.787		4.722				WME		Water Meter

		UP4622		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4622		9/4/25 8:18		3728'49.6573"N		797'51.7704"W		111.223		768447.071		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.371		100		-32		7		14.871		-3.668		29.068		Yes		9/4/25 8:18		RTK		29		1.09		0.61		0.91		10046		-1339		Yes		RTK		3D		1.2		3649		0.759		0.551		0.669		1.875				WME		Water Meter

		UP4623		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4623		9/4/25 8:19		3728'50.5557"N		797'51.2737"W		99.53		768546.602		0		UNKNOWN		141		65536		CLASSIC		OMNI PEAK		140		27.999		100		-6		10		11.353		5.179		16.511		Yes		9/4/25 8:19		RTK		30		1.09		0.61		0.91		10183		-1339		Yes		RTK		3D		1.4		3649		0.948		0.551		0.669		2.192				WME		Water Meter

		UP4624		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4624		9/4/25 8:20		3728'51.5493"N		797'50.7442"W		109.447		768656.048		0		UNKNOWN		10		65536		CLASSIC		OMNI PEAK		140		32.01		100		-1		8		12.601		0.149		-3.551		Yes		9/4/25 8:20		RTK		30		1.09		0.61		0.9		10311		-1339		Yes		RTK		3D		1.4		3649		1.157		0.85		0.709		2.873				WME		Water Meter

		UP4625		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4625		9/4/25 8:21		3728'52.3601"N		797'50.4503"W		85.586		768741.634		0		UNKNOWN		21		65536		CLASSIC		OMNI PEAK		140		49.515		100		40		11		17.837		-3.308		-32.477		Yes		9/4/25 8:21		RTK		31		1.08		0.61		0.9		10381		-1339		Yes		RTK		3D		1		3649		0.433		0.386		0.394		1.16				WME		Water Meter

		UP4626		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4626		9/4/25 8:23		3728'53.2723"N		797'50.1727"W		95.209		768836.844		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		100		100		0		11		16.197		3.445		-18.412		Yes		9/4/25 8:23		RTK		31		1.08		0.61		0.89		10446		-1339		Yes		RTK		3D		1.4		3649		0.759		0.512		0.551		1.83				WME		Water Meter

		UP4627		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4627		9/4/25 8:24		3728'54.2688"N		797'50.2688"W		101.391		768938.235		0		UNKNOWN		38		65536		CLASSIC		OMNI PEAK		140		100		100		-3		5		16.38		-0.342		-5.629		Yes		9/4/25 8:24		RTK		31		1.29		0.68		1.1		10475		-1339		Yes		RTK		3D		1		3649		0.85		0.591		0.709		2.071				WME		Water Meter

		UP4628		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4628		9/4/25 8:25		3728'55.8324"N		797'50.4624"W		159.388		769097.623		0		UNKNOWN		28		65536		CLASSIC		OMNI PEAK		140		98.131		100		14		10		16.873		-2.092		12.148		Yes		9/4/25 8:25		RTK		30		1.28		0.68		1.09		10433		-1339		Yes		RTK		3D		1.8		3649		0.591		0.551		0.591		1.616				WME		Water Meter

		UP4629		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4629		9/4/25 8:26		3728'57.9601"N		797'50.8436"W		218.027		769315.649		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		100		100		0		11		15.362		-1.183		-10.067		Yes		9/4/25 8:26		RTK		30		1.33		0.7		1.14		10346		-1339		Yes		RTK		3D		0.8		3649		0.551		0.472		0.512		1.452				WME		Water Meter

		UP4630		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4630		9/4/25 8:28		3729'2.8794"N		797'49.8071"W		505.994		769821.644		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		35.251		100		0		11		10.748		1.795		29.105		Yes		9/4/25 8:28		RTK		28		1.31		0.68		1.11		10535		-1339		Yes		RTK		3D		1.4		3649		1.05		0.551		0.551		2.372				WME		Water Meter

		UP4631		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4631		9/4/25 8:29		3729'2.2870"N		797'48.0435"W		154.172		769975.816		0		UNKNOWN		10		65536		CLASSIC		OMNI PEAK		140		100		100		4		8		11.126		-0.657		-11.578		Yes		9/4/25 8:29		RTK		30		1.3		0.68		1.11		10541		-1339		Yes		RTK		3D		1.8		3649		1.27		0.85		0.748		3.057				WME		Water Meter

		UP4632		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4632		9/4/25 8:30		3729'1.5663"N		797'46.5970"W		137.501		770113.317		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		5.953		100		0		12		14.332		-0.823		13.481		Yes		9/4/25 8:30		RTK		30		1.29		0.68		1.1		10582		-1339		Yes		RTK		3D		1.2		3649		0.672		0.512		0.551		1.689				WME		Water Meter

		UP4633		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4633		9/4/25 8:31		3729'0.9154"N		797'45.3909"W		117.425		770230.742		0		UNKNOWN		30		65536		CLASSIC		OMNI PEAK		140		100		100		-1		11		13.091		0.786		-11.459		Yes		9/4/25 8:31		RTK		30		1.29		0.68		1.09		10634		-1339		Yes		RTK		3D		1		3649		1.05		0.759		0.709		2.59				WME		Water Meter

		UP4634		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4634		9/4/25 8:32		3729'0.4433"N		797'44.6187"W		78.47		770309.212		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		100		100		-2		8		13.68		-0.776		-6.821		Yes		9/4/25 8:32		RTK		30		1.29		0.68		1.09		10691		-1339		Yes		RTK		3D		1.8		3649		1.388		0.85		0.787		3.256				WME		Water Meter

		UP4635		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4635		9/4/25 8:33		3728'59.4190"N		797'43.4907"W		138.002		770447.214		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		140		100		100		2		12		10.244		2.551		21.569		Yes		9/4/25 8:33		RTK		29		1.12		0.61		0.94		10795		-1339		Yes		RTK		3D		5		3649		0.85		0.591		0.551		2.071				WME		Water Meter

		UP4636		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4636		9/4/25 8:36		3728'56.4373"N		797'45.0730"W		328.221		770775.435		0		UNKNOWN		50		65536		CLASSIC		OMNI PEAK		140		66.739		100		4		9		11.159		-0.688		14.796		Yes		9/4/25 8:36		FLOAT RTK		30		1.11		0.61		0.93		10824		-1339		Yes		FLOAT RTK		3D		1.4		3649		27.608		20.246		4.331		68.472				WME		Water Meter

		UP4637		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4637		9/4/25 8:37		3728'54.8075"N		797'44.7797"W		167.024		770942.46		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		100		100		0		10		15.347		0.951		10.225		Yes		9/4/25 8:37		RTK		31		1.11		0.61		0.93		10700		-1339		Yes		RTK		3D		3.4		3649		1.27		0.85		0.709		3.057				WME		Water Meter

		UP4638		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		4638		9/4/25 8:39		3728'53.6921"N		797'44.6609"W		113.56		771056.02		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		35.579		100		21		8		14.632		-2.878		89.702		Yes		9/4/25 8:39		DGPS SPS VALID		31		1.11		0.61		0.92		10617		-1339		Yes		DIFFERENTIAL		3D		27.4		3649		6.378		5.74		6.693		17.161				WME		Water Meter

		UP4639		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4639		9/4/25 8:40		3728'53.6912"N		797'44.6662"W		0.439		771056.459		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		43.86		100		-8		9		15.58		-2.455		-59.11		Yes		9/4/25 8:40		FLOAT RTK		30		1.29		0.65		1.11		10592		-1339		Yes		FLOAT RTK		3D		1.2		3696		13.804		11.043		1.969		35.356				WME		Water Meter

		UP4640		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4640		9/4/25 8:41		3728'53.0724"N		797'44.5875"W		63.101		771119.56		0		UNKNOWN		17		65536		CLASSIC		OMNI PEAK		140		100		100		-6		7		12.961		-0.906		60.738		Yes		9/4/25 8:41		RTK		30		1.28		0.65		1.1		10519		-1339		Yes		RTK		3D		0.6		3696		0.948		0.759		0.63		2.427				WME		Water Meter

		UP4641		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4641		9/4/25 8:42		3728'51.7907"N		797'44.4075"W		130.832		771250.392		0		UNKNOWN		61		65536		CLASSIC		OMNI PEAK		140		70.779		100		-7		9		7.591		-2.455		76.75		Yes		9/4/25 8:42		RTK		30		1.27		0.65		1.09		10387		-1339		Yes		RTK		3D		1.4		3696		1.64		0.948		0.827		3.789				WME		Water Meter

		UP4642		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4642		9/4/25 8:43		3728'50.9720"N		797'44.3898"W		83.072		771333.464		0		UNKNOWN		299		65536		CLASSIC		OMNI PEAK		140		67.678		100		-15		9		7.975		-2.069		51.718		Yes		9/4/25 8:43		RTK		30		1.26		0.65		1.08		10297		-1339		Yes		RTK		3D		1.2		3696		0.759		0.512		0.551		1.83				WME		Water Meter

		UP4643		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4643		9/4/25 8:44		3728'49.8548"N		797'44.2335"W		114.03		771447.494		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		20.469		100		4		10		12.073		-2.389		18.839		Yes		9/4/25 8:44		RTK		29		1.25		0.64		1.07		10173		-1339		Yes		RTK		3D		0.8		3696		1.157		0.759		0.709		2.768				WME		Water Meter

		UP4644		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4644		9/4/25 8:51		3728'47.9101"N		797'44.1783"W		197.342		771644.836		0		UNKNOWN		14		65536		CLASSIC		OMNI PEAK		140		100		100		2		10		6.59		-3.326		-11.873		Yes		9/4/25 8:51		FLOAT RTK		31		1.22		0.63		1.04		10042		-1339		Yes		FLOAT RTK		3D		1.2		3696		34.97		25.768		5.906		86.877				WME		Water Meter

		UP4645		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4645		9/4/25 8:51		3728'47.0010"N		797'44.2678"W		92.516		771737.352		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		100		100		6		5		11.011		-2.653		-23.399		Yes		9/4/25 8:51		FLOAT RTK		30		1.28		0.65		1.1		9966		-1339		Yes		FLOAT RTK		3D		1.6		3696		3.129		2.577		0.551		8.107				WME		Water Meter

		UP4646		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4646		9/4/25 8:53		3728'45.4238"N		797'45.0476"W		171.882		771909.234		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		100		100		3		11		10.407		0.272		-17.72		Yes		9/4/25 8:53		RTK		31		1.27		0.65		1.09		9790		-1339		Yes		RTK		3D		1.8		3696		0.472		0.394		0.472		1.23				WME		Water Meter

		UP4647		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4647		9/4/25 8:53		3728'45.3794"N		797'44.8845"W		13.881		771923.116		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		100		-2		10		15.943		-2.157		66.931		Yes		9/4/25 8:53		RTK		29		1.27		0.65		1.09		9801		-1339		Yes		RTK		3D		0.6		3696		0.472		0.374		0.433		1.205				WME		Water Meter

		UP4648		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4648		9/4/25 8:54		3728'46.3177"N		797'43.8091"W		128.668		772051.783		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		4.953		100		-13		11		8.867		0.5		-6.97		Yes		9/4/25 8:54		RTK		30		1.26		0.65		1.08		9933		-1339		Yes		RTK		3D		1.4		3696		2.058		1.05		0.827		4.62				WME		Water Meter

		UP4649		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4649		9/4/25 8:54		3728'46.7734"N		797'43.5711"W		50.053		772101.836		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		-3		9		15.058		-3.214		27.334		Yes		9/4/25 8:55		RTK		30		1.2		0.63		1.02		9989		-1339		Yes		RTK		3D		1.6		3696		0.85		0.591		0.669		2.071				WME		Water Meter

		UP4650		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		4650		9/4/25 8:56		3728'48.9571"N		797'43.5827"W		221.531		772323.367		0		UNKNOWN		54		65536		CLASSIC		OMNI PEAK		140		55.692		100		-3		5		11.314		-1.569		12.923		Yes		9/4/25 8:56		DGPS SPS VALID		29		1.25		0.65		1.06		10127		-1339		Yes		DIFFERENTIAL		3D		1.4		3696		3.508		1.244		1.22		7.444				WME		Water Meter

		UP4651		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4651		9/4/25 8:56		3728'48.9585"N		797'43.5824"W		0.145		772323.511		0		UNKNOWN		500		65536		CLASSIC		OMNI PEAK		140		21.696		100		32		6		14.336		-0.061		-27.266		Yes		9/4/25 8:56		RTK		30		1.25		0.65		1.06		10130		-1339		Yes		RTK		3D		1.4		3696		0.759		0.591		0.512		1.923				WME		Water Meter

		UP4652		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4652		9/4/25 8:57		3728'50.2492"N		797'43.6279"W		130.995		772454.506		0		UNKNOWN		109		65536		CLASSIC		OMNI PEAK		140		70.606		100		0		13		10.201		-1.209		-33.697		Yes		9/4/25 8:57		RTK		31		1.24		0.65		1.06		10215		-1339		Yes		RTK		3D		1.4		3696		1.388		0.85		0.709		3.256				WME		Water Meter

		UP4653		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4653		9/4/25 8:58		3728'50.8935"N		797'43.7444"W		66.036		772520.542		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		100		100		-2		10		14.261		1.058		25.082		Yes		9/4/25 8:58		RTK		31		1.18		0.62		1		10279		-1339		Yes		RTK		3D		1		3696		0.759		0.551		0.512		1.875				WME		Water Meter

		UP4654		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4654		9/4/25 8:58		3728'51.8803"N		797'43.8610"W		100.555		772621.097		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		100		9		8		13.156		-0.759		-86.505		Yes		9/4/25 8:58		RTK		30		1.18		0.62		1		10379		-1339		Yes		RTK		3D		1.4		3696		2.058		1.388		0.866		4.965				WME		Water Meter

		UP4655		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4655		9/4/25 8:59		3728'53.0866"N		797'44.0090"W		122.956		772744.053		0		UNKNOWN		21		65536		CLASSIC		OMNI PEAK		140		100		100		2		8		10.934		0.672		-46.317		Yes		9/4/25 8:59		RTK		31		1.17		0.62		1		10512		-1339		Yes		RTK		3D		1.2		3696		0.85		0.551		0.551		2.027				WME		Water Meter

		UP4656		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4656		9/4/25 8:59		3728'53.9914"N		797'44.0956"W		92.052		772836.106		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		100		100		-6		11		13.062		0.851		-70.621		Yes		9/4/25 8:59		RTK		31		1.26		0.66		1.08		10608		-1339		Yes		RTK		3D		1		3696		0.512		0.433		0.394		1.341				WME		Water Meter

		UP4657		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4657		9/4/25 9:01		3728'55.0485"N		797'44.2336"W		107.816		772943.921		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		49.155		100		0		9		13.05		-2.479		-33.666		Yes		9/4/25 9:01		FLOAT RTK		30		1.26		0.66		1.07		10734		-1339		Yes		FLOAT RTK		3D		0.6		3696		3.497		3.129		0.866		9.385				WME		Water Meter

		UP4658		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4658		9/4/25 9:02		3728'56.2763"N		797'44.4393"W		125.664		773069.586		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		30.33		100		6		10		8.766		1.038		-62.911		Yes		9/4/25 9:02		RTK		31		1.22		0.65		1.04		10786		-1339		Yes		RTK		3D		1.2		3696		1.05		0.948		0.709		2.828				WME		Water Meter

		UP4659		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4659		9/4/25 9:07		3728'59.2032"N		797'41.7157"W		369.114		773438.7		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		140		100		100		0		11		18.88		-1.23		-0.509		Yes		9/4/25 9:07		RTK		31		1.11		0.59		0.94		10767		-1339		Yes		RTK		3D		0.8		3696		0.394		0.358		0.394		1.065				WME		Water Meter

		UP4660		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4660		9/4/25 9:08		3728'58.6138"N		797'40.4681"W		116.891		773555.59		0		UNKNOWN		33		65536		CLASSIC		OMNI PEAK		140		96.81		100		-10		5		25.924		0.265		35.729		Yes		9/4/25 9:08		RTK		31		1.11		0.59		0.94		10738		-1339		Yes		RTK		3D		1.2		3696		1.05		0.591		0.551		2.409				WME		Water Meter

		UP4661		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4661		9/4/25 9:09		3728'58.5663"N		797'40.3594"W		9.989		773565.579		0		UNKNOWN		831		65536		CLASSIC		OMNI PEAK		140		87.185		100		0		11		18.195		2.629		-46.673		Yes		9/4/25 9:09		RTK		31		1.11		0.59		0.94		10731		-1339		Yes		RTK		3D		1.4		3696		0.472		0.362		0.394		1.191				WME		Water Meter

		UP4662		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4662		9/4/25 9:09		3728'57.9239"N		797'37.5755"W		233.402		773798.981		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		75.984		100		13		7		13.873		0.559		-84.062		Yes		9/4/25 9:10		RTK		31		1.11		0.59		0.94		10666		-1339		Yes		RTK		3D		1		3696		2.362		1.05		0.827		5.17				WME		Water Meter

		UP4663		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4663		9/4/25 9:11		3728'57.8610"N		797'36.3288"W		100.565		773899.546		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		100		0		12		11.23		-2.045		16.628		Yes		9/4/25 9:11		RTK		31		1.06		0.58		0.89		10675		-1339		Yes		RTK		3D		1.4		3696		0.759		0.591		0.591		1.923				WME		Water Meter

		UP4664		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4664		9/4/25 9:12		3728'57.8652"N		797'35.2742"W		84.903		773984.449		0		UNKNOWN		10		65536		CLASSIC		OMNI PEAK		140		98.861		100		0		11		13.466		0.394		-2.493		Yes		9/4/25 9:12		RTK		31		1.06		0.58		0.89		10677		-1339		Yes		RTK		3D		1.6		3696		0.591		0.512		0.472		1.563				WME		Water Meter

		UP4665		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4665		9/4/25 9:13		3728'57.8029"N		797'34.1299"W		92.333		774076.782		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		0		13		9.601		-1.082		-74.506		Yes		9/4/25 9:13		RTK		30		1.07		0.59		0.89		10690		-1339		Yes		RTK		3D		1		3696		0.759		0.591		0.472		1.923				WME		Water Meter

		UP4666		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4666		9/4/25 9:16		3728'54.1974"N		797'34.1991"W		365.817		774442.599		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		64.191		100		12		9		12.187		-2.543		-11.666		Yes		9/4/25 9:16		RTK		31		1.05		0.57		0.88		10641		-1339		Yes		RTK		3D		1		3696		1.512		1.27		0.709		3.949				WME		Water Meter

		UP4667		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4667		9/4/25 9:16		3728'54.1711"N		797'34.2093"W		2.799		774445.398		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		29.56		100		1		10		10.342		1.463		38.852		Yes		9/4/25 9:16		RTK		31		1.05		0.57		0.88		10645		-1339		Yes		RTK		3D		1.4		3696		1.157		0.85		0.63		2.873				WME		Water Meter

		UP4668		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4668		9/4/25 9:17		3728'53.1705"N		797'34.3510"W		102.146		774547.544		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		18.891		100		3		10		7.452		4.221		-23.179		Yes		9/4/25 9:17		RTK		31		1.05		0.57		0.88		10636		-1339		Yes		RTK		3D		1.4		3696		0.472		0.433		0.394		1.282				WME		Water Meter

		UP4669		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4669		9/4/25 9:18		3728'52.4250"N		797'34.5620"W		77.513		774625.057		0		UNKNOWN		155		65536		CLASSIC		OMNI PEAK		140		86.881		100		47		10		10.78		-1.527		2.437		Yes		9/4/25 9:18		RTK		31		1.05		0.57		0.88		10607		-1339		Yes		RTK		3D		1.2		3696		0.591		0.591		0.472		1.67				WME		Water Meter

		UP4670		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4670		9/4/25 9:20		3728'51.1651"N		797'34.6764"W		128.148		774753.205		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		100		100		-2		5		10.673		1.356		5.87		Yes		9/4/25 9:20		RTK		30		1.04		0.57		0.87		10512		-1339		Yes		RTK		3D		1.4		3696		1.05		0.759		0.512		2.59				WME		Water Meter

		UP4671		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4671		9/4/25 9:22		3728'49.5358"N		797'35.3971"W		175.188		774928.393		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		18.623		100		1		13		8.111		-2.041		82.13		Yes		9/4/25 9:22		RTK		30		1.03		0.57		0.86		10347		-1339		Yes		RTK		3D		0.8		3696		0.591		0.472		0.394		1.513				WME		Water Meter

		UP4672		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4672		9/4/25 9:23		3728'49.5176"N		797'36.6434"W		100.35		775028.743		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		2		9		8.675		-4.26		-57.22		Yes		9/4/25 9:23		RTK		31		1.03		0.57		0.86		10281		-1339		Yes		RTK		3D		0.6		3696		0.948		0.551		0.551		2.192				WME		Water Meter

		UP4673		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4673		9/4/25 9:24		3728'50.2387"N		797'36.7494"W		73.655		775102.397		0		UNKNOWN		36		65536		CLASSIC		OMNI PEAK		140		49.701		100		0		10		17.526		-2.166		-30.433		Yes		9/4/25 9:24		RTK		30		1.05		0.59		0.87		10334		-1339		Yes		RTK		3D		1.4		3696		0.591		0.433		0.394		1.465				WME		Water Meter

		UP4674		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4674		9/4/25 9:25		3728'49.8204"N		797'37.5534"W		77.4		775179.797		0		UNKNOWN		26		65536		CLASSIC		OMNI PEAK		140		100		100		-1		13		11.969		-3.433		36.452		Yes		9/4/25 9:25		RTK		30		1.05		0.58		0.87		10221		-1339		Yes		RTK		3D		2		3696		0.759		0.512		0.472		1.83				WME		Water Meter

		UP4675		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4675		9/4/25 9:27		3728'48.8924"N		797'38.0022"W		100.839		775280.636		0		UNKNOWN		42		65536		CLASSIC		OMNI PEAK		140		100		100		-9		8		8.076		-2.341		-1.978		Yes		9/4/25 9:27		RTK		31		1.04		0.58		0.86		10122		-1339		Yes		RTK		3D		1.4		3696		1.774		1.27		0.787		4.364				WME		Water Meter

		UP4676		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4676		9/4/25 9:29		3728'47.7370"N		797'37.3242"W		129.305		775409.941		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		96.283		100		0		12		9.359		-1.027		-59.059		Yes		9/4/25 9:29		RTK		32		1.01		0.56		0.84		10075		-1339		Yes		RTK		3D		1.2		3696		0.551		0.433		0.433		1.402				WME		Water Meter

		UP4677		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4677		9/4/25 9:29		3728'47.6875"N		797'37.9685"W		52.117		775462.058		0		UNKNOWN		30		65536		CLASSIC		OMNI PEAK		140		100		100		0		12		8.731		2.146		3.632		Yes		9/4/25 9:29		RTK		31		1.03		0.59		0.85		10054		-1339		Yes		RTK		3D		1.8		3696		1.388		1.157		0.709		3.615				WME		Water Meter

		UP4678		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4678		9/4/25 9:30		3728'46.8206"N		797'37.8609"W		88.376		775550.434		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		32.427		100		1		12		8.503		-0.28		-54.512		Yes		9/4/25 9:30		RTK		31		1.01		0.56		0.84		10006		-1339		Yes		RTK		3D		1		3696		1.388		1.157		0.709		3.615				WME		Water Meter

		UP4679		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4679		9/4/25 9:32		3728'46.4797"N		797'35.4598"W		196.376		775746.81		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		21.571		100		5		9		20.056		-1.844		57.024		Yes		9/4/25 9:32		RTK		32		1		0.56		0.83		9965		-1339		Yes		RTK		3D		1.4		3696		0.948		0.759		0.551		2.427				WME		Water Meter

		UP4680		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4680		9/4/25 9:33		3728'46.3448"N		797'33.8968"W		126.58		775873.39		0		UNKNOWN		115		65536		CLASSIC		OMNI PEAK		140		50.345		100		1		10		13.06		1.165		26.201		Yes		9/4/25 9:33		RTK		32		1.06		0.59		0.88		9906		-1339		Yes		RTK		3D		1.6		3696		1.05		0.672		0.551		2.493				WME		Water Meter

		UP4681		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4681		9/4/25 9:34		3728'45.6270"N		797'33.4662"W		80.652		775954.043		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		100		100		-1		10		5.571		-0.472		42.767		Yes		9/4/25 9:34		RTK		32		1.02		0.58		0.84		9884		-1339		Yes		RTK		3D		1		3696		2.688		1.913		0.906		6.598				WME		Water Meter

		UP4682		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4682		9/4/25 9:37		3728'45.7990"N		797'31.2081"W		182.626		776136.668		0		UNKNOWN		119		65536		CLASSIC		OMNI PEAK		140		50.097		100		6		12		10.477		2.813		-70.188		Yes		9/4/25 9:37		RTK		32		0.91		0.53		0.74		10026		-1339		Yes		RTK		3D		2		3696		0.948		0.672		0.512		2.323				WME		Water Meter

		UP4683		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4683		9/4/25 9:38		3728'46.7826"N		797'31.0369"W		100.741		776237.409		0		UNKNOWN		92		65536		CLASSIC		OMNI PEAK		140		54.183		100		18		6		10.574		0.237		85.187		Yes		9/4/25 9:38		RTK		32		0.94		0.55		0.76		10103		-1339		Yes		RTK		3D		2		3696		0.591		0.472		0.433		1.513				WME		Water Meter

		UP4684		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4684		9/4/25 9:39		3728'46.4580"N		797'30.5103"W		53.681		776291.09		0		UNKNOWN		38		65536		CLASSIC		OMNI PEAK		140		57.76		100		0		10		7.107		2.479		-51.345		Yes		9/4/25 9:39		RTK		32		0.95		0.54		0.78		10091		-1339		Yes		RTK		3D		1.4		3696		1.27		1.05		0.669		3.296				WME		Water Meter

		UP4685		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4685		9/4/25 9:39		3728'47.5258"N		797'30.2526"W		110.296		776401.386		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		100		100		-7		9		14.034		-1.88		-68.697		Yes		9/4/25 9:39		RTK		32		0.94		0.55		0.76		10164		-1339		Yes		RTK		3D		1.6		3696		1.64		1.05		0.709		3.895				WME		Water Meter

		UP4686		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4686		9/4/25 9:40		3728'48.1453"N		797'30.5290"W		66.671		776468.057		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		69.779		100		0		7		8.65		1.397		-71.707		Yes		9/4/25 9:40		RTK		32		0.94		0.55		0.76		10171		-1339		Yes		RTK		3D		1.6		3696		1.157		1.05		0.669		3.125				WME		Water Meter

		UP4687		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4687		9/4/25 9:41		3728'48.9399"N		797'31.6928"W		123.605		776591.662		0		UNKNOWN		59		65536		CLASSIC		OMNI PEAK		140		55.685		100		3		9		16.394		-0.377		17.403		Yes		9/4/25 9:41		RTK		30		0.97		0.56		0.8		10208		-1339		Yes		RTK		3D		2.2		3696		1.05		0.759		0.591		2.59				WME		Water Meter

		UP4688		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4688		9/4/25 9:41		3728'48.4285"N		797'31.8449"W		53.31		776644.972		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		81.214		100		-24		8		11.357		-1.087		-18.285		Yes		9/4/25 9:41		RTK		30		0.97		0.56		0.79		10173		-1339		Yes		RTK		3D		1.4		3696		0.433		0.394		0.394		1.171				WME		Water Meter

		UP4689		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4689		9/4/25 9:46		3728'49.0925"N		797'33.9206"W		180.167		776825.139		0		UNKNOWN		34		65536		CLASSIC		OMNI PEAK		140		75.788		100		83		9		12.336		-0.843		69.547		Yes		9/4/25 9:46		RTK		29		1.1		0.61		0.92		10310		-1339		Yes		RTK		3D		1.4		3696		0.551		0.472		0.394		1.452				WME		Water Meter

		UP4690		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4690		9/4/25 9:48		3728'50.8289"N		797'34.0489"W		176.461		777001.6		0		UNKNOWN		30		65536		CLASSIC		OMNI PEAK		140		100		100		88		9		16.567		0.074		-47.089		Yes		9/4/25 9:48		RTK		31		1.1		0.62		0.91		10475		-1339		Yes		RTK		3D		0.8		3696		1.27		1.05		0.669		3.296				WME		Water Meter

		UP4691		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4691		9/4/25 9:49		3728'50.8284"N		797'34.0499"W		0.099		777001.699		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		100		100		-4		12		12.353		1.971		-5.536		Yes		9/4/25 9:49		RTK		30		1.1		0.62		0.91		10474		-1339		Yes		RTK		3D		0.8		3696		0.948		0.85		0.551		2.546				WME		Water Meter

		UP4692		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4692		9/4/25 9:49		3728'51.5578"N		797'34.0461"W		73.995		777075.694		0		UNKNOWN		75		65536		CLASSIC		OMNI PEAK		140		45.29		100		0		12		15.072		-1.076		-48.073		Yes		9/4/25 9:49		RTK		31		1.1		0.62		0.91		10546		-1339		Yes		RTK		3D		1		3696		0.672		0.591		0.472		1.789				WME		Water Meter

		UP4693		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4693		9/4/25 9:51		3728'52.4503"N		797'33.7119"W		94.466		777170.16		0		UNKNOWN		33		65536		CLASSIC		OMNI PEAK		140		98.55		100		4		11		19.148		0.134		-6.644		Yes		9/4/25 9:51		RTK		31		1.13		0.64		0.93		10643		-1339		Yes		RTK		3D		1.2		3696		0.551		0.512		0.472		1.504				WME		Water Meter

		UP4694		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4694		9/4/25 9:52		3728'54.5741"N		797'33.3142"W		217.823		777387.983		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		12.553		100		-7		9		17.977		-6.274		74.123		Yes		9/4/25 9:52		RTK		31		1.15		0.63		0.96		10713		-1339		Yes		RTK		3D		1		3696		1.27		0.948		0.669		3.17				WME		Water Meter

		UP4695		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4695		9/4/25 9:54		3728'57.4642"N		797'32.1215"W		308.524		777696.507		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		100		100		-2		10		14.598		-3.517		19.216		Yes		9/4/25 9:54		RTK		30		1.15		0.63		0.96		10814		-1339		Yes		RTK		3D		1.2		3696		0.591		0.472		0.394		1.513				WME		Water Meter

		UP4696		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4696		9/4/25 9:56		3728'56.9861"N		797'29.7144"W		199.758		777896.265		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		100		100		-1		10		20.869		-2.479		-50.565		Yes		9/4/25 9:56		RTK		29		1.14		0.64		0.95		10905		-1339		Yes		RTK		3D		1.2		3696		0.433		0.394		0.394		1.171				WME		Water Meter

		UP4697		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4697		9/4/25 9:56		3728'57.0088"N		797'29.4183"W		23.954		777920.219		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		82.956		100		-2		12		10.34		-2.396		-2.039		Yes		9/4/25 9:56		RTK		29		1.14		0.64		0.95		10901		-1339		Yes		RTK		3D		1.2		3696		1.05		0.759		0.551		2.59				WME		Water Meter

		UP4698		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4698		9/4/25 9:57		3728'56.6327"N		797'27.8966"W		128.304		778048.523		0		UNKNOWN		46		65536		CLASSIC		OMNI PEAK		140		42.157		100		2		10		14.497		-1.632		-5.292		Yes		9/4/25 9:57		RTK		28		1.08		0.61		0.89		10947		-1339		Yes		RTK		3D		1.4		3696		0.85		0.672		0.551		2.168				WME		Water Meter

		UP4699		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4699		9/4/25 9:58		3728'56.4693"N		797'27.0716"W		68.455		778116.978		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		22.653		100		12		11		12.323		-2.153		29.881		Yes		9/4/25 9:58		RTK		27		1.08		0.61		0.89		10977		-1339		Yes		RTK		3D		1.2		3696		1.388		1.157		0.591		3.615				WME		Water Meter

		UP4700		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4700		9/4/25 9:58		3728'56.4770"N		797'27.0971"W		2.196		778119.174		0		UNKNOWN		14		65536		CLASSIC		OMNI PEAK		140		100		100		16		4		15.319		0.186		-72.832		Yes		9/4/25 9:58		RTK		30		1.08		0.61		0.89		10979		-1339		Yes		RTK		3D		1.4		3696		0.759		0.551		0.433		1.875				WME		Water Meter

		UP4701		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4701		9/4/25 9:59		3728'56.3619"N		797'25.4951"W		129.495		778248.669		0		UNKNOWN		38		65536		CLASSIC		OMNI PEAK		140		82.307		100		0		8		12.291		1.709		72.659		Yes		9/4/25 9:59		RTK		30		1.14		0.64		0.94		11016		-1339		Yes		RTK		3D		1.6		3696		0.672		0.472		0.394		1.643				WME		Water Meter

		UP4702		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4702		9/4/25 10:00		3728'56.3849"N		797'24.3468"W		92.476		778341.145		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		11.797		100		1		13		10.187		-0.922		54.648		Yes		9/4/25 10:00		RTK		30		1.08		0.61		0.89		11027		-1339		Yes		RTK		3D		1.2		3696		1.05		0.759		0.551		2.59				WME		Water Meter

		UP4703		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4703		9/4/25 10:08		3728'56.4542"N		797'22.0694"W		183.476		778524.622		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		60.875		100		-2		10		12.911		-1.318		52.428		Yes		9/4/25 10:08		RTK		27		1.07		0.61		0.87		10998		-1339		Yes		RTK		3D		0.6		3696		0.672		0.512		0.394		1.689				WME		Water Meter

		UP4704		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4704		9/4/25 10:11		3728'56.5824"N		797'21.3087"W		62.601		778587.223		0		UNKNOWN		15		65536		CLASSIC		OMNI PEAK		140		100		100		3		3		11.803		3.027		11.128		Yes		9/4/25 10:11		RTK		28		1.07		0.61		0.87		10968		-1339		Yes		RTK		3D		1.4		3696		0.85		0.85		0.551		2.405				WME		Water Meter

		UP4705		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4705		9/4/25 10:15		3728'56.3604"N		797'18.7731"W		205.368		778792.591		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		100		100		-1		10		7.848		-4.71		60.466		Yes		9/4/25 10:15		RTK		26		1.02		0.58		0.83		10924		-1339		Yes		RTK		3D		1.8		3696		0.759		0.591		0.433		1.923				WME		Water Meter

		UP4706		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4706		9/4/25 10:15		3728'55.9009"N		797'17.9269"W		82.543		778875.133		0		UNKNOWN		58		65536		CLASSIC		OMNI PEAK		140		100		100		1		12		7.794		-2.448		53.06		Yes		9/4/25 10:15		RTK		27		1.02		0.59		0.83		10914		-1339		Yes		RTK		3D		2		3696		0.551		0.433		0.394		1.402				WME		Water Meter

		UP4707		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4707		9/4/25 10:26		3728'55.4840"N		797'14.3283"W		292.779		779167.913		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		5.663		100		-52		10		8.28		0.786		68.305		Yes		9/4/25 10:26		RTK		27		1.19		0.64		1.01		10918		-1339		Yes		RTK		3D		0.8		3696		2.362		1.388		0.709		5.48				WME		Water Meter

		UP4708		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4708		9/4/25 10:27		3728'55.4794"N		797'14.3031"W		2.078		779169.991		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		43.121		100		-29		4		9.082		0.197		40.437		Yes		9/4/25 10:27		RTK		27		1.19		0.64		1.01		10917		-1339		Yes		RTK		3D		1		3696		2.688		1.512		0.748		6.167				WME		Water Meter

		UP4709		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4709		9/4/25 10:27		3728'55.2451"N		797'13.4497"W		72.705		779242.696		0		UNKNOWN		39		65536		CLASSIC		OMNI PEAK		140		100		100		5		8		10.35		0.532		0.431		Yes		9/4/25 10:27		FLOAT RTK		28		1.19		0.64		1.01		10946		-1339		Yes		FLOAT RTK		3D		0.8		3696		3.681		2.025		0.512		8.402				WME		Water Meter

		UP4710		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4710		9/4/25 10:28		3728'54.5776"N		797'11.3270"W		183.816		779426.512		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		1		12		20.377		-1.034		37.443		Yes		9/4/25 10:28		RTK		28		1.2		0.64		1.01		11023		-1339		Yes		RTK		3D		1.2		3696		2.858		1.157		0.748		6.167				WME		Water Meter

		UP4711		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4711		9/4/25 10:28		3728'54.5735"N		797'11.3104"W		1.402		779427.914		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		100		-1		10		22.685		-1.629		4.929		Yes		9/4/25 10:28		RTK		28		1.2		0.64		1.01		11026		-1339		Yes		RTK		3D		0.8		3696		0.948		0.672		0.512		2.323				WME		Water Meter

		UP4712		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4712		9/4/25 10:45		3728'59.9028"N		797'5.3457"W		723.118		780151.032		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		18.134		100		0		13		10.967		-0.544		-56.095		Yes		9/4/25 10:45		RTK		28		1.14		0.6		0.97		10773		-1339		Yes		RTK		3D		2		3696		0.85		0.672		0.472		2.168				WME		Water Meter

		UP4713		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4713		9/4/25 10:46		3729'1.0554"N		797'4.0914"W		154.489		780305.522		0		UNKNOWN		29		65536		CLASSIC		OMNI PEAK		140		100		100		1		13		10.287		-1.027		-23.733		Yes		9/4/25 10:46		RTK		28		1.14		0.6		0.97		10821		-1339		Yes		RTK		3D		1		3696		1.512		0.85		0.63		3.469				WME		Water Meter

		UP4714		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4714		9/4/25 10:47		3729'1.8051"N		797'3.3213"W		98.126		780403.648		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		100		100		-1		13		16.819		-4.223		-12.166		Yes		9/4/25 10:47		RTK		29		1.14		0.6		0.97		10843		-1339		Yes		RTK		3D		0.8		3696		1.05		0.433		0.394		2.271				WME		Water Meter

		UP4715		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4715		9/4/25 10:48		3729'2.6260"N		797'2.6235"W		100.457		780504.105		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		18.317		100		-1		12		13.168		-0.177		23.416		Yes		9/4/25 10:48		RTK		29		1.15		0.61		0.97		10888		-1339		Yes		RTK		3D		1.4		3696		0.591		0.394		0.394		1.42				WME		Water Meter

		UP4716		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4716		9/4/25 10:51		3729'1.5614"N		796'58.9567"W		314.331		780818.436		0		UNKNOWN		72		65536		CLASSIC		OMNI PEAK		140		41.405		100		12		10		9.273		4.568		52.13		Yes		9/4/25 10:51		RTK		27		1.08		0.58		0.9		10787		-1339		Yes		RTK		3D		1.4		3696		0.551		0.433		0.394		1.402				WME		Water Meter

		UP4717		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4717		9/4/25 10:52		3729'1.0287"N		796'57.8513"W		104.112		780922.548		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		69.047		100		12		8		5.576		3.004		-69.978		Yes		9/4/25 10:52		RTK		29		1.08		0.58		0.91		10842		-1339		Yes		RTK		3D		0.6		3696		0.512		0.472		0.394		1.393				WME		Water Meter

		UP4718		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4718		9/4/25 10:53		3729'0.7946"N		796'56.9742"W		74.493		780997.041		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		17.718		100		-7		9		-0.046		-0.055		-52.736		Yes		9/4/25 10:53		RTK		29		1.08		0.58		0.91		10827		-1339		Yes		RTK		3D		1		3696		0.948		0.551		0.433		2.192				WME		Water Meter

		UP4719		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4719		9/4/25 10:56		3729'0.0715"N		796'53.2978"W		304.924		781301.965		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		140		100		100		11		13		8.091		1.294		-15.476		Yes		9/4/25 10:56		RTK		29		1.08		0.58		0.91		10739		-1339		Yes		RTK		3D		1.2		3696		0.591		0.472		0.394		1.513				WME		Water Meter

		UP4720		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4720		9/4/25 10:58		3728'59.4823"N		796'51.4278"W		161.97		781463.935		0		UNKNOWN		21		65536		CLASSIC		OMNI PEAK		140		85.695		100		0		8		12.116		-2.012		73.967		Yes		9/4/25 10:58		RTK		30		1.08		0.58		0.91		10732		-1339		Yes		RTK		3D		1.4		3696		0.472		0.433		0.394		1.282				WME		Water Meter

		UP4721		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4721		9/4/25 10:59		3728'58.0450"N		796'50.9903"W		150.01		781613.945		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		35.488		100		12		5		15.016		-5.762		-38.056		Yes		9/4/25 10:59		RTK		30		1.16		0.6		0.99		10559		-1339		Yes		RTK		3D		0.6		3696		1.27		0.759		0.551		2.959				WME		Water Meter

		UP4722		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4722		9/4/25 11:00		3728'56.9902"N		796'50.1314"W		127.402		781741.347		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		17.372		100		-12		9		6.319		-3.664		76.195		Yes		9/4/25 11:00		RTK		29		1.16		0.6		0.99		10425		-1339		Yes		RTK		3D		1.2		3696		0.672		0.551		0.433		1.738				WME		Water Meter

		UP4723		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4723		9/4/25 11:05		3728'54.5978"N		796'44.2024"W		535.485		782276.832		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		34.183		100		0		10		12.229		4.091		-66.351		Yes		9/4/25 11:05		RTK		30		1.16		0.6		0.99		10423		-1339		Yes		RTK		3D		1.4		3696		1.64		1.388		0.709		4.298				WME		Water Meter

		UP4724		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4724		9/4/25 11:06		3728'54.7428"N		796'44.9985"W		65.758		782342.59		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		100		-1		9		9.874		2.328		20.563		Yes		9/4/25 11:06		RTK		30		1.15		0.6		0.98		10398		-1339		Yes		RTK		3D		1.4		3696		1.05		0.85		0.512		2.702				WME		Water Meter

		UP4725		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4725		9/4/25 11:08		3728'54.3020"N		796'43.0657"W		161.897		782504.487		0		UNKNOWN		85		65536		CLASSIC		OMNI PEAK		140		100		100		-1		10		11.629		0.855		-41.17		Yes		9/4/25 11:08		RTK		30		1.07		0.58		0.89		10447		-1339		Yes		RTK		3D		1		3696		0.672		0.591		0.433		1.789				WME		Water Meter

		UP4726		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4726		9/4/25 11:08		3728'54.2155"N		796'42.9368"W		13.596		782518.083		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		4.937		100		-5		9		10.022		-1.261		-68.799		Yes		9/4/25 11:08		RTK		30		1.06		0.58		0.89		10446		-1339		Yes		RTK		3D		0.8		3696		1.388		1.05		0.709		3.481				WME		Water Meter

		UP4727		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4727		9/4/25 11:09		3728'54.0009"N		796'42.0502"W		74.62		782592.703		0		UNKNOWN		88		65536		CLASSIC		OMNI PEAK		140		31.186		100		0		13		10.501		0.232		35.452		Yes		9/4/25 11:09		RTK		30		1.06		0.58		0.89		10425		-1339		Yes		RTK		3D		0.8		3696		0.672		0.512		0.433		1.689				WME		Water Meter

		UP4728		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4728		9/4/25 11:10		3728'54.6105"N		796'41.7843"W		65.445		782658.148		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		2.094		100		32		8		15.926		-7.535		16.517		Yes		9/4/25 11:10		RTK		30		1.06		0.58		0.89		10483		-1339		Yes		RTK		3D		1.2		3696		0.472		0.433		0.394		1.282				WME		Water Meter

		UP4729		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4729		9/4/25 11:11		3728'54.7702"N		796'42.7015"W		75.601		782733.749		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.126		100		20		9		17.959		-2.635		-26.28		Yes		9/4/25 11:11		RTK		30		1.15		0.61		0.98		10469		-1339		Yes		RTK		3D		1.4		3696		0.672		0.551		0.433		1.738				WME		Water Meter

		UP4730		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4730		9/4/25 11:12		3728'55.0055"N		796'43.7777"W		89.862		782823.611		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		100		100		1		12		10.934		0.084		46.521		Yes		9/4/25 11:12		RTK		30		1.15		0.61		0.98		10443		-1339		Yes		RTK		3D		0.8		3696		0.591		0.472		0.394		1.513				WME		Water Meter

		UP4731		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4731		9/4/25 11:13		3728'55.0049"N		796'43.7756"W		0.176		782823.787		0		UNKNOWN		115		65536		CLASSIC		OMNI PEAK		140		48.341		100		-6		11		11.583		-1.469		-14.143		Yes		9/4/25 11:13		RTK		30		1.21		0.64		1.03		10445		-1339		Yes		RTK		3D		0.6		3696		1.27		0.948		0.63		3.17				WME		Water Meter

		UP4732		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4732		9/4/25 11:13		3728'55.1036"N		796'44.1496"W		31.732		782855.52		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		28.15		100		-4		6		15.78		-0.984		-17.423		Yes		9/4/25 11:13		RTK		30		1.12		0.61		0.94		10426		-1339		Yes		RTK		3D		1.8		3696		0.591		0.551		0.433		1.616				WME		Water Meter

		UP4733		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4733		9/4/25 11:15		3728'55.7323"N		796'46.1101"W		170.229		783025.749		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		-2		11		14.194		-3.162		-31.206		Yes		9/4/25 11:15		RTK		31		1.01		0.56		0.84		10321		-1339		Yes		RTK		3D		0.8		3696		0.759		0.512		0.394		1.83				WME		Water Meter

		UP4734		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4734		9/4/25 11:18		3728'57.3867"N		796'49.4704"W		318.358		783344.107		0		UNKNOWN		17		65536		CLASSIC		OMNI PEAK		140		98.938		100		1		12		13.313		-1.447		21.459		Yes		9/4/25 11:18		RTK		31		1.12		0.61		0.94		10451		-1339		Yes		RTK		3D		1		3696		0.672		0.551		0.433		1.738				WME		Water Meter

		UP4735		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4735		9/4/25 11:19		3728'58.0340"N		796'50.1623"W		86.112		783430.219		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		19.429		100		-12		7		13.437		2.566		77.09		Yes		9/4/25 11:19		RTK		31		1.12		0.61		0.94		10574		-1339		Yes		RTK		3D		1.2		3696		0.591		0.591		0.472		1.67				WME		Water Meter

		UP4736		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4736		9/4/25 11:20		3728'59.2390"N		796'50.6292"W		127.899		783558.118		0		UNKNOWN		48		65536		CLASSIC		OMNI PEAK		140		68.369		100		-3		9		11.348		-1.56		18.638		Yes		9/4/25 11:20		RTK		30		1.12		0.61		0.93		10693		-1339		Yes		RTK		3D		1.8		3696		0.759		0.591		0.512		1.923				WME		Water Meter

		UP4737		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4737		9/4/25 11:22		3729'0.4905"N		796'49.3949"W		161.223		783719.341		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		100		100		3		9		13.279		-1.568		-22.592		Yes		9/4/25 11:22		RTK		31		1.12		0.61		0.93		10655		-1339		Yes		RTK		3D		0.8		3696		1.913		1.774		0.709		5.219				WME		Water Meter

		UP4738		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4738		9/4/25 11:23		3729'0.6028"N		796'47.9072"W		120.307		783839.647		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		47.126		100		11		13		13.466		-0.992		18.742		Yes		9/4/25 11:23		RTK		31		1.11		0.62		0.93		10588		-1339		Yes		RTK		3D		1.2		3696		0.472		0.394		0.394		1.23				WME		Water Meter

		UP4739		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4739		9/4/25 11:24		3729'0.6989"N		796'46.5323"W		111.11		783950.758		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		83.957		100		4		6		11.011		2.575		5.109		Yes		9/4/25 11:24		RTK		31		1.11		0.62		0.93		10600		-1339		Yes		RTK		3D		0.8		3696		1.157		1.05		0.63		3.125				WME		Water Meter

		UP4740		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4740		9/4/25 11:27		3729'0.7574"N		796'44.4602"W		166.919		784117.677		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		11.659		100		-1		11		12.489		2.005		-24.869		Yes		9/4/25 11:27		RTK		32		1.2		0.64		1.01		10577		-1339		Yes		RTK		3D		1		3696		0.85		0.759		0.512		2.279				WME		Water Meter

		UP4741		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4741		9/4/25 11:29		3729'0.3109"N		796'43.0206"W		124.432		784242.108		0		UNKNOWN		49		65536		CLASSIC		OMNI PEAK		140		72.101		100		-1		11		12.933		-0.666		-35.881		Yes		9/4/25 11:29		RTK		32		1.11		0.62		0.92		10539		-1339		Yes		RTK		3D		1.4		3696		0.472		0.433		0.394		1.282				WME		Water Meter

		UP4742		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4742		9/4/25 11:30		3728'59.3482"N		796'42.2108"W		117.425		784359.534		0		UNKNOWN		17		65536		CLASSIC		OMNI PEAK		140		89.352		100		2		7		11.12		-4.992		-7.563		Yes		9/4/25 11:30		RTK		32		1.01		0.58		0.83		10633		-1339		Yes		RTK		3D		0.6		3696		1.05		0.948		0.551		2.828				WME		Water Meter

		UP4743		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4743		9/4/25 11:31		3728'58.6851"N		796'41.7184"W		78.075		784437.609		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		12.771		100		-16		11		11.244		0.754		-4.302		Yes		9/4/25 11:31		RTK		32		1.01		0.59		0.83		10697		-1339		Yes		RTK		3D		1.4		3696		1.27		1.05		0.63		3.296				WME		Water Meter

		UP4744		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4744		9/4/25 11:33		3728'57.7959"N		796'40.6814"W		122.914		784560.523		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		54.704		100		-5		9		11.85		-1.842		-75.063		Yes		9/4/25 11:33		RTK		32		1.01		0.59		0.82		10698		-1339		Yes		RTK		3D		0.6		3696		1.27		0.85		0.709		3.057				WME		Water Meter

		UP4745		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4745		9/4/25 11:34		3728'58.1335"N		796'39.7405"W		83.122		784643.645		0		UNKNOWN		17		65536		CLASSIC		OMNI PEAK		140		100		100		-2		9		11.086		2.664		82.801		Yes		9/4/25 11:34		RTK		32		1.01		0.59		0.82		10780		-1339		Yes		RTK		3D		1.4		3696		1.05		0.672		0.512		2.493				WME		Water Meter

		UP4746		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4746		9/4/25 11:49		3728'50.9039"N		798'3.1409"W		0		784643.645		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		-5		10		15.388		-9.38		-42.532		Yes		9/4/25 11:50		FLOAT RTK		32		0.89		0.54		0.71		9940		-1338		Yes		FLOAT RTK		3D		1.2		3696		17.669		15.645		2.717		47.2				WME		Water Meter

		UP4747		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4747		9/4/25 13:08		3728'58.9589"N		796'41.1326"W		0		784643.645		0		UNKNOWN		752		65536		CLASSIC		OMNI PEAK		140		72.948		100		-1		9		20.851		-3.941		87.98		Yes		9/4/25 13:08		RTK		31		1.2		0.58		1.06		10724		-1339		Yes		RTK		3D		1.2		3909		0.551		0.472		0.591		1.452				WME		Water Meter

		UP4748		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4748		9/4/25 13:10		3729'0.0412"N		796'41.9585"W		128.362		784772.006		0		UNKNOWN		42		65536		CLASSIC		OMNI PEAK		140		82.459		100		-6		3		20.178		-2.474		60.473		Yes		9/4/25 13:10		RTK		31		1.2		0.58		1.05		10636		-1339		Yes		RTK		3D		1		3909		0.551		0.433		0.472		1.402				WME		Water Meter

		UP4749		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4749		9/4/25 13:11		3729'0.4960"N		796'42.2149"W		50.54		784822.547		0		UNKNOWN		14		65536		CLASSIC		OMNI PEAK		140		100		100		-2		7		22.866		-1.758		-12.396		Yes		9/4/25 13:11		RTK		32		1.2		0.58		1.05		10636		-1339		Yes		RTK		3D		1.2		3909		0.472		0.394		0.472		1.23				WME		Water Meter

		UP4750		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4750		9/4/25 13:12		3729'1.2201"N		796'43.3080"W		114.628		784937.175		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		100		100		14		6		11.846		3.333		-86.035		Yes		9/4/25 13:12		RTK		32		1.19		0.58		1.05		10592		-1339		Yes		RTK		3D		1.2		3909		0.759		0.591		0.748		1.923				WME		Water Meter

		UP4751		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4751		9/4/25 13:14		3729'1.3244"N		796'45.0049"W		137.022		785074.197		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		35.009		100		12		11		23.251		2.945		5.33		Yes		9/4/25 13:14		RTK		32		1.19		0.58		1.04		10628		-1339		Yes		RTK		3D		1.6		3909		1.388		0.85		0.906		3.256				WME		Water Meter

		UP4752		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4752		9/4/25 13:14		3729'1.2579"N		796'45.5496"W		44.362		785118.558		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		3.974		100		-15		12		16.338		-4.856		15.227		Yes		9/4/25 13:14		RTK		32		1.19		0.58		1.04		10623		-1339		Yes		RTK		3D		1.6		3909		0.512		0.374		0.433		1.268				WME		Water Meter

		UP4753		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4753		9/4/25 13:15		3729'1.1619"N		796'46.8536"W		105.429		785223.988		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		87.451		100		-17		13		-2.38		-1.698		-53.967		Yes		9/4/25 13:15		RTK		32		1.18		0.58		1.03		10606		-1339		Yes		RTK		3D		1.2		3909		0.85		0.512		0.591		1.985				WME		Water Meter

		UP4754		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4754		9/4/25 13:18		3729'1.0050"N		796'49.8695"W		243.316		785467.303		0		UNKNOWN		40		65536		CLASSIC		OMNI PEAK		140		42.812		100		17		10		13.873		-3.457		-23.315		Yes		9/4/25 13:18		RTK		31		1.27		0.61		1.12		10706		-1339		Yes		RTK		3D		0.6		3909		0.433		0.358		0.394		1.124				WME		Water Meter

		UP4755		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4755		9/4/25 13:20		3729'0.8650"N		796'50.8131"W		77.277		785544.581		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		44.369		100		4		11		13.17		4.445		-25.394		Yes		9/4/25 13:20		RTK		31		1.27		0.61		1.11		10749		-1339		Yes		RTK		3D		1.6		3909		0.591		0.382		0.472		1.407				WME		Water Meter

		UP4756		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4756		9/4/25 13:22		3729'0.6677"N		796'52.4326"W		131.906		785676.486		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		34		8		12.417		-0.481		-44.647		Yes		9/4/25 13:22		RTK		32		1.26		0.61		1.1		10765		-1339		Yes		RTK		3D		0.8		3909		0.354		0.268		0.394		0.888				WME		Water Meter

		UP4757		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4757		9/4/25 13:27		3729'0.7185"N		796'53.2683"W		67.468		785743.954		0		UNKNOWN		16		65536		CLASSIC		OMNI PEAK		140		100		100		1		11		11.323		-1.851		1.506		Yes		9/4/25 13:27		RTK		32		1.24		0.61		1.08		10744		-1339		Yes		RTK		3D		1		3909		0.551		0.362		0.433		1.319				WME		Water Meter

		UP4758		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4758		9/4/25 13:27		3729'0.9316"N		796'54.2399"W		81.152		785825.106		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		69.644		100		-2		10		9.479		-0.721		-42.235		Yes		9/4/25 13:27		RTK		32		1.23		0.61		1.07		10776		-1339		Yes		RTK		3D		1.4		3909		0.472		0.358		0.472		1.186				WME		Water Meter

		UP4759		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4759		9/4/25 13:29		3729'0.9044"N		796'55.3204"W		87.033		785912.139		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		19.821		100		15		7		14.778		-1.765		5.106		Yes		9/4/25 13:29		RTK		32		1.3		0.62		1.14		10801		-1339		Yes		RTK		3D		1.4		3909		0.512		0.386		0.512		1.282				WME		Water Meter

		UP4760		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4760		9/4/25 13:30		3729'1.1341"N		796'56.4156"W		91.19		786003.328		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		5		6		21.568		-4.164		-53.003		Yes		9/4/25 13:30		RTK		32		1.45		0.64		1.3		10855		-1339		Yes		RTK		3D		0.6		3909		0.591		0.433		0.591		1.465				WME		Water Meter

		UP4761		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4761		9/4/25 13:31		3729'1.5897"N		796'57.4920"W		98.213		786101.541		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		12.444		100		0		13		13.081		1.767		-22.96		Yes		9/4/25 13:31		RTK		32		1.29		0.62		1.13		10913		-1339		Yes		RTK		3D		1.2		3909		1.05		0.551		0.709		2.372				WME		Water Meter

		UP4762		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4762		9/4/25 13:32		3729'1.5870"N		796'57.4912"W		0.284		786101.825		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		44.949		100		-17		10		11.934		3.51		78.052		Yes		9/4/25 13:32		RTK		32		1.28		0.62		1.13		10915		-1339		Yes		RTK		3D		0.8		3909		0.948		0.551		0.709		2.192				WME		Water Meter

		UP4763		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4763		9/4/25 13:33		3729'1.9542"N		796'58.4883"W		88.498		786190.323		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		100		100		0		12		12.944		1.293		-8.062		Yes		9/4/25 13:33		RTK		32		1.28		0.62		1.12		10827		-1339		Yes		RTK		3D		0.8		3909		0.672		0.394		0.551		1.558				WME		Water Meter

		UP4764		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4764		9/4/25 13:36		3729'3.8679"N		797'0.8941"W		274.226		786464.548		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		100		100		-2		12		11.577		0.893		-40.91		Yes		9/4/25 13:36		RTK		32		1.21		0.6		1.06		11011		-1339		Yes		RTK		3D		1		3909		0.512		0.346		0.512		1.236				WME		Water Meter

		UP4765		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4765		9/4/25 13:38		3729'4.8390"N		796'58.7037"W		201.979		786666.528		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		100		100		1		11		9.346		3.02		-11.331		Yes		9/4/25 13:38		RTK		31		1.21		0.6		1.05		11089		-1339		Yes		RTK		3D		1.2		3909		0.591		0.433		0.551		1.465				WME		Water Meter

		UP4766		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4766		9/4/25 13:38		3729'5.0768"N		796'57.4455"W		104.128		786770.656		0		UNKNOWN		64		65536		CLASSIC		OMNI PEAK		140		74.541		100		-1		12		15.844		-2.867		-26.885		Yes		9/4/25 13:38		FLOAT RTK		31		1.24		0.61		1.08		11122		-1339		Yes		FLOAT RTK		3D		1.4		3909		4.417		3.129		0.945		10.826				WME		Water Meter

		UP4767		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4767		9/4/25 13:39		3729'5.2798"N		796'55.9900"W		118.964		786889.62		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		25.24		100		11		11		12.546		-1.823		-66.994		Yes		9/4/25 13:39		RTK		32		1.24		0.61		1.07		11138		-1339		Yes		RTK		3D		1.2		3909		1.913		1.157		0.984		4.472				WME		Water Meter

		UP4768		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4768		9/4/25 13:41		3729'5.5081"N		796'54.4514"W		126.006		787015.626		0		UNKNOWN		63		65536		CLASSIC		OMNI PEAK		140		88.151		100		-1		11		10.587		4.44		-10.585		Yes		9/4/25 13:41		RTK		32		1.2		0.6		1.04		11163		-1339		Yes		RTK		3D		1.8		3909		0.472		0.339		0.472		1.162				WME		Water Meter

		UP4769		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4769		9/4/25 13:43		3729'5.6344"N		796'53.5432"W		74.232		787089.858		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		100		100		-3		13		9.049		3.007		-18.203		Yes		9/4/25 13:43		RTK		32		1.25		0.61		1.09		11140		-1339		Yes		RTK		3D		1.2		3909		0.948		0.512		0.669		2.154				WME		Water Meter

		UP4770		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4770		9/4/25 13:44		3729'5.8127"N		796'52.2293"W		107.305		787197.163		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		36.126		100		-2		5		7.115		1.313		10.76		Yes		9/4/25 13:44		RTK		31		1.28		0.62		1.11		11111		-1339		Yes		RTK		3D		0.8		3909		0.948		0.551		0.669		2.192				WME		Water Meter

		UP4771		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4771		9/4/25 13:44		3729'5.9810"N		796'50.5858"W		133.404		787330.566		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		51.289		100		-1		10		8.01		0		-80.693		Yes		9/4/25 13:45		RTK		31		1.24		0.61		1.09		11103		-1339		Yes		RTK		3D		1.2		3909		1.27		0.759		0.906		2.959				WME		Water Meter

		UP4772		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4772		9/4/25 13:46		3729'6.1439"N		796'48.4843"W		169.982		787500.548		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		-2		11		7.426		0.308		-41.311		Yes		9/4/25 13:46		RTK		31		1.31		0.62		1.15		11133		-1339		Yes		RTK		3D		1.4		3909		0.759		0.472		0.63		1.787				WME		Water Meter

		UP4773		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4773		9/4/25 13:51		3729'9.6580"N		796'49.4493"W		364.868		787865.416		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		100		100		2		8		6.582		-1.175		-18.553		Yes		9/4/25 13:51		RTK		31		1.22		0.6		1.05		10902		-1339		Yes		RTK		3D		1.2		3909		0.759		0.433		0.591		1.747				WME		Water Meter

		UP4774		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4774		9/4/25 13:51		3729'9.6709"N		796'49.4558"W		1.415		787866.831		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		13.281		100		-6		7		12.241		-2.79		-35.812		Yes		9/4/25 13:51		RTK		32		1.22		0.6		1.05		10900		-1339		Yes		RTK		3D		1.2		3909		1.64		0.591		0.787		3.487				WME		Water Meter

		UP4775		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4775		9/4/25 13:53		3729'11.1197"N		796'50.2335"W		159.756		788026.587		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		1		12		12.427		-5.009		-16.903		Yes		9/4/25 13:53		RTK		32		1.22		0.62		1.06		10823		-1339		Yes		RTK		3D		1.2		3909		1.913		0.591		0.906		4.005				WME		Water Meter

		UP4776		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4776		9/4/25 13:53		3729'11.1387"N		796'50.2461"W		2.178		788028.765		0		UNKNOWN		84		65536		CLASSIC		OMNI PEAK		140		63.116		100		-24		7		12.12		0.317		-36.314		Yes		9/4/25 13:53		RTK		32		1.22		0.62		1.06		10820		-1339		Yes		RTK		3D		1.8		3909		0.591		0.311		0.433		1.335				WME		Water Meter

		UP4777		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4777		9/4/25 13:54		3729'12.5470"N		796'51.0271"W		156.098		788184.863		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		100		100		2		8		7.431		3.393		-67.298		Yes		9/4/25 13:54		RTK		32		1.11		0.56		0.95		10803		-1339		Yes		RTK		3D		0.8		3909		1.64		0.672		0.906		3.545				WME		Water Meter

		UP4778		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4778		9/4/25 13:54		3729'12.5697"N		796'51.0370"W		2.43		788187.293		0		UNKNOWN		246		65536		CLASSIC		OMNI PEAK		140		22.733		100		2		11		11.06		0.16		-4.583		Yes		9/4/25 13:54		RTK		32		1.11		0.56		0.95		10803		-1339		Yes		RTK		3D		0.8		3909		1.05		0.512		0.669		2.336				WME		Water Meter

		UP4779		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4779		9/4/25 13:55		3729'13.9674"N		796'51.7321"W		152.445		788339.738		0		UNKNOWN		25		65536		CLASSIC		OMNI PEAK		140		51.356		100		-21		8		12.042		0.278		-39.518		Yes		9/4/25 13:55		RTK		32		1.23		0.6		1.07		10743		-1339		Yes		RTK		3D		1		3909		1.27		0.512		0.709		2.739				WME		Water Meter

		UP4780		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4780		9/4/25 13:56		3729'14.6931"N		796'52.1072"W		79.57		788419.308		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		1		11		11.765		-1.671		-7.776		Yes		9/4/25 13:56		RTK		32		1.31		0.62		1.16		10644		-1339		Yes		RTK		3D		1.2		3909		0.85		0.551		0.669		2.027				WME		Water Meter

		UP4781		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4781		9/4/25 13:56		3729'14.7153"N		796'52.1130"W		2.301		788421.609		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		100		8		6		12.899		-0.757		-54.44		Yes		9/4/25 13:56		RTK		29		1.31		0.62		1.16		10642		-1339		Yes		RTK		3D		1.4		3909		1.05		0.512		0.787		2.336				WME		Water Meter

		UP4782		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4782		9/4/25 13:57		3729'15.7613"N		796'52.8074"W		119.942		788541.551		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		32.335		100		0		12		12.627		4.011		-71.62		Yes		9/4/25 13:57		RTK		31		1.23		0.6		1.07		10492		-1339		Yes		RTK		3D		1		3909		1.512		0.672		0.827		3.309				WME		Water Meter

		UP4783		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4783		9/4/25 13:58		3729'16.6519"N		796'53.0973"W		93.312		788634.863		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		14.478		100		-13		9		6.81		2.963		3.565		Yes		9/4/25 13:58		RTK		31		1.31		0.62		1.15		10428		-1339		Yes		RTK		3D		1.6		3909		3.034		0.948		1.496		6.357				WME		Water Meter

		UP4784		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4784		9/4/25 13:58		3729'17.0796"N		796'53.5802"W		58.259		788693.122		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		48.86		100		0		13		7.585		4.61		63.571		Yes		9/4/25 13:58		RTK		31		1.26		0.64		1.09		10428		-1339		Yes		RTK		3D		1.2		3909		1.388		0.433		0.591		2.909				WME		Water Meter

		UP4785		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4785		9/4/25 13:58		3729'17.0863"N		796'53.6086"W		2.382		788695.504		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		5.083		100		37		10		13.936		-0.642		-49.71		Yes		9/4/25 13:58		RTK		31		1.23		0.6		1.07		10428		-1339		Yes		RTK		3D		1.6		3909		0.759		0.394		0.551		1.709				WME		Water Meter

		UP4786		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4786		9/4/25 14:00		3729'16.5809"N		796'54.0043"W		60.365		788755.869		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		100		-2		12		10.03		-0.104		1.929		Yes		9/4/25 14:00		RTK		32		1.2		0.61		1.04		10433		-1339		Yes		RTK		3D		0.8		3909		1.512		0.512		0.709		3.192				WME		Water Meter

		UP4787		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4787		9/4/25 14:02		3729'15.8580"N		796'53.6058"W		80.052		788835.921		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		-1		9		11.237		-1.665		-11.361		Yes		9/4/25 14:02		RTK		30		1.17		0.56		1.02		10476		-1339		Yes		RTK		3D		1.2		3909		0.948		0.551		0.591		2.192				WME		Water Meter

		UP4788		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4788		9/4/25 14:02		3729'15.1365"N		796'53.2061"W		79.951		788915.873		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		0		12		12.783		-3.249		33.341		Yes		9/4/25 14:02		RTK		31		1.25		0.59		1.1		10568		-1339		Yes		RTK		3D		1.8		3909		0.948		0.512		0.709		2.154				WME		Water Meter

		UP4789		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4789		9/4/25 14:03		3729'14.4126"N		796'52.8244"W		79.611		788995.484		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		140		48.678		100		-42		8		9.545		-2.407		81.164		Yes		9/4/25 14:03		RTK		32		1.19		0.58		1.04		10651		-1339		Yes		RTK		3D		1		3909		1.157		0.591		0.709		2.599				WME		Water Meter

		UP4790		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4790		9/4/25 14:06		3729'14.0613"N		796'52.6156"W		39.4		789034.884		0		UNKNOWN		42		65536		CLASSIC		OMNI PEAK		140		65.776		100		0		11		8.38		1.903		32.475		Yes		9/4/25 14:06		RTK		32		1.21		0.61		1.05		10704		-1339		Yes		RTK		3D		1		3909		1.27		0.591		0.748		2.802				WME		Water Meter

		UP4791		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4791		9/4/25 14:06		3729'13.3483"N		796'52.2843"W		77.099		789111.983		0		UNKNOWN		40		65536		CLASSIC		OMNI PEAK		140		99.758		100		-1		13		11.442		4.052		-35.538		Yes		9/4/25 14:06		RTK		32		1.17		0.59		1.02		10793		-1339		Yes		RTK		3D		0.8		3909		0.512		0.343		0.394		1.232				WME		Water Meter

		UP4792		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4792		9/4/25 14:07		3729'12.5751"N		796'51.8866"W		84.72		789196.703		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		5		7		11.073		-1.17		37.513		Yes		9/4/25 14:07		RTK		32		1.17		0.59		1.02		10846		-1339		Yes		RTK		3D		1		3909		0.551		0.354		0.394		1.31				WME		Water Meter

		UP4793		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4793		9/4/25 14:08		3729'11.6415"N		796'51.3232"W		105.012		789301.715		0		UNKNOWN		17		65536		CLASSIC		OMNI PEAK		140		100		100		-9		6		12.857		2.059		-29.888		Yes		9/4/25 14:08		RTK		32		1.17		0.59		1.02		10865		-1339		Yes		RTK		3D		1		3909		0.672		0.394		0.472		1.558				WME		Water Meter

		UP4794		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4794		9/4/25 14:08		3729'10.8482"N		796'50.9363"W		86.296		789388.011		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		100		100		1		11		13.771		-0.716		23.093		Yes		9/4/25 14:09		RTK		32		1.15		0.58		0.99		10891		-1339		Yes		RTK		3D		1		3909		0.85		0.472		0.551		1.946				WME		Water Meter

		UP4795		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4795		9/4/25 14:09		3729'10.1357"N		796'50.5026"W		80.279		789468.29		0		UNKNOWN		16		65536		CLASSIC		OMNI PEAK		140		100		100		-8		11		8.054		5.595		67.353		Yes		9/4/25 14:09		RTK		32		1.23		0.65		1.05		10928		-1339		Yes		RTK		3D		1.6		3909		0.85		0.433		0.512		1.909				WME		Water Meter

		UP4796		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4796		9/4/25 14:10		3729'9.1939"N		796'50.0312"W		102.802		789571.092		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		33.868		100		11		9		13.48		0.313		-44.594		Yes		9/4/25 14:10		RTK		32		1.23		0.6		1.07		10968		-1339		Yes		RTK		3D		1		3909		1.27		0.591		0.709		2.802				WME		Water Meter

		UP4797		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4797		9/4/25 14:11		3729'7.1339"N		796'48.8002"W		231.29		789802.382		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		100		100		0		12		12.691		0.579		-52.957		Yes		9/4/25 14:11		RTK		32		1.11		0.57		0.95		11108		-1339		Yes		RTK		3D		0.8		3909		0.759		0.374		0.512		1.691				WME		Water Meter

		UP4798		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4798		9/4/25 14:17		3729'5.9203"N		796'39.8598"W		730.175		790532.557		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		100		100		-1		10		10.983		-2.832		-61.981		Yes		9/4/25 14:17		RTK		32		1.11		0.55		0.96		11040		-1339		Yes		RTK		3D		0.6		3909		1.512		0.759		0.827		3.383				WME		Water Meter

		UP4799		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4799		9/4/25 14:18		3729'6.7128"N		796'42.5016"W		227.357		790759.914		0		UNKNOWN		14		65536		CLASSIC		OMNI PEAK		140		100		100		0		11		13.114		0.482		2.14		Yes		9/4/25 14:18		RTK		32		1.1		0.55		0.96		11162		-1339		Yes		RTK		3D		1		3909		0.551		0.433		0.394		1.402				WME		Water Meter

		UP4800		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4800		9/4/25 14:22		3729'3.6548"N		796'38.2305"W		463.108		791223.022		0		UNKNOWN		42		65536		CLASSIC		OMNI PEAK		140		100		100		4		7		10.699		1.663		-65.394		Yes		9/4/25 14:22		RTK		32		1.08		0.56		0.92		10911		-1339		Yes		RTK		3D		1.2		3909		3.402		0.672		0.748		6.935				WME		Water Meter

		UP4801		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4801		9/4/25 14:23		3729'3.0330"N		796'37.7220"W		75.197		791298.219		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		-13		10		9.178		-0.799		-7.558		Yes		9/4/25 14:23		RTK		31		1.04		0.54		0.89		10942		-1339		Yes		RTK		3D		1		3909		1.512		0.591		0.591		3.246				WME		Water Meter

		UP4802		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4802		9/4/25 14:25		3729'1.4416"N		796'36.4593"W		190.786		791489.004		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		99.349		100		-1		10		13.631		-1.749		-5.526		Yes		9/4/25 14:25		FLOAT RTK		32		1.01		0.51		0.87		10944		-1339		Yes		FLOAT RTK		3D		0.8		3909		4.233		2.761		0.63		10.108				WME		Water Meter

		UP4803		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4803		9/4/25 14:26		3729'0.6541"N		796'34.2764"W		193.043		791682.047		0		UNKNOWN		18		65536		CLASSIC		OMNI PEAK		140		100		100		-4		7		12.662		1.823		-9.116		Yes		9/4/25 14:26		RTK		32		1.08		0.52		0.94		10798		-1339		Yes		RTK		3D		1.4		3909		0.759		0.591		0.551		1.923				WME		Water Meter

		UP4804		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4804		9/4/25 14:27		3729'0.8903"N		796'35.5082"W		102.017		791784.064		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		13.278		100		-1		6		11.049		0.11		-82.895		Yes		9/4/25 14:27		RTK		32		1.05		0.53		0.9		10889		-1339		Yes		RTK		3D		1.2		3909		0.591		0.394		0.394		1.42				WME		Water Meter

		UP4805		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4805		9/4/25 14:30		3728'57.2289"N		796'35.8961"W		372.762		792156.826		0		UNKNOWN		36		65536		CLASSIC		OMNI PEAK		140		72.019		100		-1		10		8.465		-3.608		28.368		Yes		9/4/25 14:30		RTK		32		1.06		0.54		0.9		10680		-1339		Yes		RTK		3D		1.4		3909		1.27		0.759		0.63		2.959				WME		Water Meter

		UP4806		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4806		9/4/25 14:31		3728'57.5480"N		796'37.4210"W		126.963		792283.789		0		UNKNOWN		32		65536		CLASSIC		OMNI PEAK		140		100		100		-7		8		14.35		0.548		-49.97		Yes		9/4/25 14:31		RTK		32		1.1		0.57		0.93		10720		-1339		Yes		RTK		3D		0.6		3909		2.362		0.591		0.591		4.87				WME		Water Meter

		UP4807		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4807		9/4/25 14:33		3728'57.9704"N		796'38.3067"W		83.182		792366.972		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		120		8		13.687		-0.431		-9.737		Yes		9/4/25 14:33		RTK		32		1.08		0.54		0.93		10795		-1339		Yes		RTK		3D		1.8		3909		2.058		0.551		0.63		4.261				WME		Water Meter

		UP4808		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4808		9/4/25 14:33		3728'57.9747"N		796'38.3408"W		2.779		792369.751		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		8		8		16.055		-3.178		-41.906		Yes		9/4/25 14:33		RTK		31		1.11		0.56		0.96		10796		-1339		Yes		RTK		3D		1.6		3909		2.522		0.759		0.866		5.268				WME		Water Meter

		UP4809		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4809		9/4/25 14:33		3728'57.1434"N		796'38.8269"W		92.976		792462.726		0		UNKNOWN		27		65536		CLASSIC		OMNI PEAK		140		100		100		3		10		8.568		-0.43		-23.562		Yes		9/4/25 14:33		RTK		32		1.08		0.54		0.93		10757		-1339		Yes		RTK		3D		1.8		3909		3.593		2.058		1.024		8.281				WME		Water Meter

		UP4810		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4810		9/4/25 14:37		3728'55.6867"N		796'35.7539"W		288.172		792750.898		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		51.458		100		0		10		16.887		-3.33		-83.538		Yes		9/4/25 14:37		RTK		32		1.1		0.56		0.95		10464		-1339		Yes		RTK		3D		1.2		3909		0.591		0.382		0.394		1.407				WME		Water Meter

		UP4811		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4811		9/4/25 14:39		3728'53.7249"N		796'36.8055"W		216.289		792967.188		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		0		5		11.922		1.095		89.455		Yes		9/4/25 14:39		RTK		32		1.06		0.54		0.91		10308		-1339		Yes		RTK		3D		1		3909		1.913		0.759		0.669		4.117				WME		Water Meter

		UP4812		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4812		9/4/25 14:40		3728'53.9973"N		796'39.1172"W		188.15		793155.338		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		100		0		10		11.678		-1.583		41.022		Yes		9/4/25 14:40		RTK		32		1.1		0.58		0.93		10447		-1339		Yes		RTK		3D		0.8		3909		1.913		0.591		0.669		4.005				WME		Water Meter

		UP4813		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4813		9/4/25 14:40		3728'54.1072"N		796'39.7369"W		51.12		793206.458		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		38.861		100		22		9		13.831		-1.488		82.406		Yes		9/4/25 14:40		RTK		32		1.12		0.56		0.97		10380		-1339		Yes		RTK		3D		1.4		3909		0.759		0.472		0.433		1.787				WME		Water Meter

		UP4814		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4814		9/4/25 14:42		3728'53.6456"N		796'40.4245"W		72.508		793278.965		0		UNKNOWN		62		65536		CLASSIC		OMNI PEAK		140		66.197		100		11		7		15.523		-1.919		17.174		Yes		9/4/25 14:42		RTK		32		1.07		0.54		0.92		10344		-1339		Yes		RTK		3D		1		3909		0.759		0.433		0.433		1.747				WME		Water Meter

		UP4815		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4815		9/4/25 14:44		3728'53.3641"N		796'39.6144"W		71.198		793350.163		0		UNKNOWN		319		65536		CLASSIC		OMNI PEAK		140		70.221		100		-10		11		11.632		2.01		36.461		Yes		9/4/25 14:44		RTK		32		1.02		0.53		0.87		10352		-1339		Yes		RTK		3D		1.2		3909		1.512		0.591		0.669		3.246				WME		Water Meter

		UP4816		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4816		9/4/25 14:46		3728'53.0061"N		796'38.2370"W		116.684		793466.847		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		16.577		100		7		9		10.9		4.607		77.869		Yes		9/4/25 14:46		RTK		32		1.11		0.56		0.96		10329		-1339		Yes		RTK		3D		0.8		3909		1.05		0.512		0.512		2.336				WME		Water Meter

		UP4817		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4817		9/4/25 14:47		3728'52.6997"N		796'37.3007"W		81.54		793548.387		0		UNKNOWN		14		65536		CLASSIC		OMNI PEAK		140		100		100		-12		10		10.845		0.246		40.113		Yes		9/4/25 14:47		RTK		32		1.02		0.5		0.88		10250		-1339		Yes		RTK		3D		1		3909		0.759		0.512		0.512		1.83				WME		Water Meter

		UP4818		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4818		9/4/25 14:50		3728'52.3126"N		796'35.8749"W		121.311		793669.698		0		UNKNOWN		100		65536		CLASSIC		OMNI PEAK		140		58.309		100		-12		5		10.499		1.288		70.286		Yes		9/4/25 14:50		RTK		31		1		0.5		0.86		10146		-1339		Yes		RTK		3D		1.2		3909		1.05		0.433		0.472		2.271				WME		Water Meter

		UP4819		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4819		9/4/25 14:50		3728'52.0656"N		796'34.7172"W		96.516		793766.214		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		40.101		100		-9		9		12.096		-6.449		-22.683		Yes		9/4/25 14:50		RTK		32		1.02		0.5		0.89		10078		-1339		Yes		RTK		3D		1.4		3909		2.207		1.157		0.748		4.985				WME		Water Meter

		UP4820		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4820		9/4/25 14:52		3728'51.6766"N		796'31.9440"W		226.724		793992.938		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		100		-3		12		12.639		-0.429		59.718		Yes		9/4/25 14:52		RTK		32		0.97		0.47		0.84		9995		-1339		Yes		RTK		3D		1.2		3909		0.551		0.386		0.394		1.346				WME		Water Meter

		UP4821		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4821		9/4/25 14:55		3728'52.6953"N		796'33.4921"W		161.907		794154.846		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		140		100		100		0		11		15.285		2.173		4.804		Yes		9/4/25 14:55		RTK		32		0.96		0.47		0.84		10081		-1339		Yes		RTK		3D		0.6		3909		0.551		0.346		0.394		1.302				WME		Water Meter

		UP4822		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4822		9/4/25 14:55		3728'52.7052"N		796'34.4735"W		79.016		794233.862		0		UNKNOWN		44		65536		CLASSIC		OMNI PEAK		140		77.564		100		0		13		17.062		-0.906		-24.661		Yes		9/4/25 14:55		RTK		32		1.01		0.5		0.88		10107		-1339		Yes		RTK		3D		1		3909		2.688		0.85		0.984		5.638				WME		Water Meter

		UP4823		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4823		9/4/25 14:57		3728'56.1624"N		796'34.0690"W		352.242		794586.104		0		UNKNOWN		36		65536		CLASSIC		OMNI PEAK		140		100		100		-23		7		15.288		-0.712		11.891		Yes		9/4/25 14:57		RTK		31		1.08		0.52		0.95		10462		-1339		Yes		RTK		3D		1.2		3909		3.992		1.512		0.748		8.538				WME		Water Meter

		UP4824		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4824		9/4/25 14:58		3728'55.7629"N		796'32.6990"W		117.508		794703.612		0		UNKNOWN		48		65536		CLASSIC		OMNI PEAK		140		74.577		99		-8		6		12.429		-2.947		14.799		Yes		9/4/25 14:58		RTK		32		1.07		0.5		0.94		10364		-1339		Yes		RTK		3D		0.6		3909		0.672		0.472		0.433		1.643				WME		Water Meter

		UP4825		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4825		9/4/25 14:59		3728'55.6509"N		796'31.6480"W		85.368		794788.979		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		36.058		100		10		7		5.313		-6.023		-7.999		Yes		9/4/25 14:59		RTK		32		1.07		0.5		0.94		10300		-1339		Yes		RTK		3D		1		3909		0.85		0.472		0.472		1.946				WME		Water Meter

		UP4826		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4826		9/4/25 15:00		3728'56.1763"N		796'31.5725"W		53.653		794842.633		0		UNKNOWN		179		65536		CLASSIC		OMNI PEAK		140		90.751		100		25		7		12.557		2.364		19.065		Yes		9/4/25 15:00		RTK		31		1.07		0.5		0.94		10309		-1339		Yes		RTK		3D		1.2		3909		1.388		0.85		0.591		3.256				WME		Water Meter

		UP4827		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4827		9/4/25 15:01		3728'56.3991"N		796'32.2288"W		57.466		794900.099		0		UNKNOWN		10		65536		CLASSIC		OMNI PEAK		140		100		98		0		12		10.336		1.512		74.771		Yes		9/4/25 15:01		RTK		32		1		0.48		0.87		10378		-1339		Yes		RTK		3D		1.6		3909		0.85		0.472		0.433		1.946				WME		Water Meter

		UP4828		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4828		9/4/25 15:02		3728'56.7145"N		796'33.8747"W		136.312		795036.411		0		UNKNOWN		10		65536		CLASSIC		OMNI PEAK		140		100		99		0		9		16.453		1.682		67.07		Yes		9/4/25 15:02		RTK		32		1.06		0.51		0.93		10503		-1339		Yes		RTK		3D		0.8		3909		0.551		0.433		0.394		1.402				WME		Water Meter

		UP4829		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4829		9/4/25 15:06		3729'0.4027"N		796'32.4906"W		390.412		795426.823		0		UNKNOWN		21		65536		CLASSIC		OMNI PEAK		140		100		100		-3		13		6.345		-1.106		-18.763		Yes		9/4/25 15:06		RTK		32		1.05		0.51		0.92		10684		-1339		Yes		RTK		3D		1		3909		0.948		0.672		0.551		2.323				WME		Water Meter

		UP4830		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4830		9/4/25 15:07		3729'0.0897"N		796'30.9561"W		127.549		795554.372		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		99		0		9		12.354		-0.781		-15.651		Yes		9/4/25 15:07		RTK		32		1.07		0.53		0.93		10605		-1339		Yes		RTK		3D		1.2		3909		0.85		0.512		0.472		1.985				WME		Water Meter

		UP4831		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4831		9/4/25 15:08		3728'59.9489"N		796'30.4902"W		40.143		795594.515		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		17.019		99		0		6		12.747		0.403		-89.487		Yes		9/4/25 15:08		RTK		32		1.09		0.51		0.97		10568		-1339		Yes		RTK		3D		0.8		3909		0.591		0.433		0.433		1.465				WME		Water Meter

		UP4832		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4832		9/4/25 15:13		3728'53.6856"N		796'30.8523"W		636.082		796230.597		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		100		99		5		10		13.234		2.558		-6.702		Yes		9/4/25 15:13		RTK		32		1.04		0.52		0.9		10094		-1339		Yes		RTK		3D		1.2		3909		0.85		0.551		0.433		2.027				WME		Water Meter

		UP4833		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4833		9/4/25 15:19		3728'57.0845"N		796'29.2599"W		367.883		796598.48		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		97		-2		5		16.818		-0.334		33.616		Yes		9/4/25 15:19		RTK		32		1.05		0.53		0.91		10251		-1339		Yes		RTK		3D		1.4		3909		0.512		0.37		0.394		1.263				WME		Water Meter

		UP4834		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4834		9/4/25 15:19		3728'57.0638"N		796'29.2680"W		2.203		796600.683		0		UNKNOWN		159		65536		CLASSIC		OMNI PEAK		140		73.57		98		2		10		11.931		-2.325		42.381		Yes		9/4/25 15:19		RTK		31		1.05		0.53		0.91		10249		-1339		Yes		RTK		3D		1.2		3909		0.85		0.512		0.512		1.985				WME		Water Meter

		UP4835		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4835		9/4/25 15:21		3728'56.9828"N		796'25.8698"W		273.701		796874.384		0		UNKNOWN		26		65536		CLASSIC		OMNI PEAK		140		71.77		98		1		11		14.919		-0.782		-80.997		Yes		9/4/25 15:21		RTK		32		1.04		0.53		0.9		10259		-1339		Yes		RTK		3D		1.4		3909		0.759		0.551		0.472		1.875				WME		Water Meter

		UP4836		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4836		9/4/25 15:23		3729'3.4247"N		796'12.8803"W		1233.121		798107.505		0		UNKNOWN		61		65536		CLASSIC		OMNI PEAK		140		93.604		96		79		7		11.096		-2.492		82.654		Yes		9/4/25 15:23		RTK		32		1.12		0.57		0.96		9499		-1339		Yes		RTK		3D		1		4076		1.512		0.85		0.591		3.469				WME		Water Meter

		UP4837		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4837		9/4/25 15:23		3729'3.4195"N		796'12.8649"W		1.344		798108.849		0		UNKNOWN		173		65536		CLASSIC		OMNI PEAK		140		61.981		97		6		9		14.048		-0.459		-43.854		Yes		9/4/25 15:23		RTK		32		1		0.51		0.86		9501		-1339		Yes		RTK		3D		1.2		4076		1.27		0.759		0.669		2.959				WME		Water Meter

		UP4838		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4838		9/4/25 15:24		3729'3.4139"N		796'12.8490"W		1.4		798110.249		0		UNKNOWN		16		65536		CLASSIC		OMNI PEAK		140		63.35		96		-6		5		11.547		-0.894		-23.293		Yes		9/4/25 15:24		RTK		32		1		0.51		0.86		9503		-1339		Yes		RTK		3D		0.6		4076		1.27		0.85		0.709		3.057				WME		Water Meter

		UP4839		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4839		9/4/25 15:24		3729'3.4101"N		796'12.8381"W		0.958		798111.208		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		48.989		97		9		12		10.111		-1.576		-86.658		Yes		9/4/25 15:24		RTK		31		1.08		0.55		0.93		9502		-1339		Yes		RTK		3D		1		4076		2.207		1.27		0.906		5.094				WME		Water Meter

		UP4840		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4840		9/4/25 15:24		3729'3.4067"N		796'12.8252"W		1.099		798112.306		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		100		96		-11		5		11.092		-1.192		-6.079		Yes		9/4/25 15:24		RTK		31		1.08		0.55		0.93		9501		-1339		Yes		RTK		3D		0.6		4076		1.64		0.85		0.787		3.695				WME		Water Meter

		UP4841		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4841		9/4/25 15:25		3729'3.4062"N		796'12.8222"W		0.241		798112.548		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		7.283		96		3		11		10.341		-1.707		80.903		Yes		9/4/25 15:25		RTK		32		1.08		0.54		0.94		9503		-1339		Yes		RTK		3D		0.8		4076		1.913		0.948		0.709		4.27				WME		Water Meter

		UP4842		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4842		9/4/25 15:25		3729'3.4009"N		796'12.8111"W		1.04		798113.588		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		96		5		11		17.948		11.401		-18.116		Yes		9/4/25 15:25		RTK		32		1.2		0.6		1.04		9500		-1339		Yes		RTK		3D		0.6		4076		1.64		0.948		0.748		3.789				WME		Water Meter

		UP4843		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4843		9/4/25 15:25		3729'3.3908"N		796'12.7988"W		1.43		798115.018		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		25.24		96		1		11		14.268		-1.754		-47.671		Yes		9/4/25 15:25		RTK		32		1.08		0.54		0.94		9499		-1339		Yes		RTK		3D		1.8		4076		1.388		0.759		0.669		3.164				WME		Water Meter

		UP4844		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4844		9/4/25 15:26		3729'3.2588"N		796'13.0183"W		22.169		798137.187		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		10.109		96		0		6		10.587		-2.347		-34.512		Yes		9/4/25 15:26		RTK		31		1.1		0.54		0.96		9515		-1339		Yes		RTK		3D		1		4076		2.522		1.388		0.827		5.758				WME		Water Meter

		UP4845		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4845		9/4/25 15:27		3729'3.5497"N		796'13.5439"W		51.591		798188.778		0		UNKNOWN		33		65536		CLASSIC		OMNI PEAK		140		100		95		-4		11		9.165		-1.728		-3.261		Yes		9/4/25 15:27		RTK		31		1.07		0.54		0.93		9500		-1339		Yes		RTK		3D		0.8		4076		0.591		0.433		0.433		1.465				WME		Water Meter

		UP4846		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4846		9/4/25 15:27		3729'3.5505"N		796'13.5617"W		1.433		798190.211		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		40.407		95		0		5		13.535		-3.447		-24.974		Yes		9/4/25 15:27		RTK		32		1.06		0.52		0.92		9498		-1339		Yes		RTK		3D		5.2		4076		0.591		0.433		0.394		1.465				WME		Water Meter

		UP4847		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4847		9/5/25 7:27		3728'56.8597"N		796'20.4151"W		874.733		799064.944		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.001		100		58		2		13.935		-2.152		14.119		Yes		9/5/25 7:27		RTK		29		1.1		0.54		0.96		10191		-1339		Yes		RTK		3D		0.6		370		1.388		0.85		0.669		3.256				WME		Water Meter

		UP4848		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4848		9/5/25 7:28		3728'57.5699"N		796'19.0996"W		128.095		799193.039		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		18.726		100		5		10		10.73		-1.485		63.438		Yes		9/5/25 7:28		RTK		32		0.97		0.51		0.82		10110		-1339		Yes		RTK		3D		0.6		370		0.551		0.472		0.394		1.452				WME		Water Meter

		UP4849		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4849		9/5/25 7:30		3728'58.9446"N		796'17.4186"W		194.328		799387.367		0		UNKNOWN		18		65536		CLASSIC		OMNI PEAK		140		98.751		100		0		11		12.343		-4.171		-34.128		Yes		9/5/25 7:30		RTK		32		0.98		0.51		0.84		9977		-1339		Yes		RTK		3D		0.6		370		1.27		0.512		0.512		2.739				WME		Water Meter

		UP4850		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4850		9/5/25 7:31		3728'59.8749"N		796'16.1794"W		137.329		799524.695		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		10.841		100		-3		10		12.392		1.744		82.899		Yes		9/5/25 7:31		RTK		32		0.98		0.5		0.84		9918		-1339		Yes		RTK		3D		0.6		370		0.948		0.591		0.512		2.233				WME		Water Meter

		UP4851		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4851		9/5/25 7:32		3728'59.1818"N		796'16.9350"W		92.979		799617.674		0		UNKNOWN		42		65536		CLASSIC		OMNI PEAK		140		82.652		100		4		11		15.36		0.935		-30.806		Yes		9/5/25 7:32		FLOAT RTK		32		0.93		0.48		0.8		9962		-1339		Yes		FLOAT RTK		3D		1.4		370		9.571		4.601		1.26		21.239				WME		Water Meter

		UP4852		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4852		9/5/25 7:33		3729'0.5752"N		796'14.7796"W		223.81		799841.484		0		UNKNOWN		55		65536		CLASSIC		OMNI PEAK		140		71.723		100		11		6		5.984		-2.358		-8.819		Yes		9/5/25 7:33		FLOAT RTK		32		1.05		0.53		0.91		9778		-1339		Yes		FLOAT RTK		3D		1.4		370		4.233		2.945		0.551		10.314				WME		Water Meter

		UP4853		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4853		9/5/25 7:36		3729'2.3496"N		796'14.6689"W		180.239		800021.723		0		UNKNOWN		17		65536		CLASSIC		OMNI PEAK		140		100		100		0		12		12.167		-1.066		73.208		Yes		9/5/25 7:36		RTK		32		1.01		0.52		0.86		9520		-1339		Yes		RTK		3D		1		370		0.672		0.472		0.394		1.643				WME		Water Meter

		UP4854		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4854		9/5/25 7:37		3729'0.0973"N		796'16.8692"W		289.116		800310.839		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		10.285		100		-2		10		9.633		-1.504		-88.91		Yes		9/5/25 7:37		RTK		32		1.02		0.51		0.89		9871		-1339		Yes		RTK		3D		1		370		1.388		0.85		0.63		3.256				WME		Water Meter

		UP4855		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4855		9/5/25 7:38		3728'59.5284"N		796'17.6071"W		82.825		800393.665		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		4.671		100		-23		6		7.646		-1.209		3.817		Yes		9/5/25 7:38		RTK		32		1.1		0.57		0.94		9961		-1339		Yes		RTK		3D		0.8		370		4.63		0.672		0.827		9.357				WME		Water Meter

		UP4856		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4856		9/5/25 7:38		3728'59.5260"N		796'17.6325"W		2.056		800395.721		0		UNKNOWN		115		65536		CLASSIC		OMNI PEAK		140		87.487		100		-9		11		13.308		3.896		-29.255		Yes		9/5/25 7:38		RTK		32		1.08		0.55		0.94		9964		-1339		Yes		RTK		3D		1.4		370		1.512		0.551		0.591		3.218				WME		Water Meter

		UP4857		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4857		9/5/25 7:39		3728'58.7687"N		796'18.4486"W		101.092		800496.813		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		-2		9		15.002		3.552		-3.197		Yes		9/5/25 7:39		RTK		32		0.98		0.5		0.85		10039		-1339		Yes		RTK		3D		0.6		370		0.948		0.591		0.551		2.233				WME		Water Meter

		UP4858		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4858		9/5/25 7:39		3728'58.3082"N		796'19.0744"W		68.709		800565.522		0		UNKNOWN		24		65536		CLASSIC		OMNI PEAK		140		100		100		-4		10		12.198		-3.459		-47.25		Yes		9/5/25 7:39		RTK		32		0.98		0.5		0.84		10073		-1339		Yes		RTK		3D		1		370		0.591		0.386		0.394		1.411				WME		Water Meter

		UP4859		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4859		9/5/25 7:41		3728'57.4875"N		796'20.4068"W		135.778		800701.3		0		UNKNOWN		59		65536		CLASSIC		OMNI PEAK		140		100		100		-11		6		12.727		-1.1		46.98		Yes		9/5/25 7:41		RTK		32		0.99		0.51		0.85		10155		-1339		Yes		RTK		3D		0.8		370		0.672		0.472		0.433		1.643				WME		Water Meter

		UP4860		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4860		9/5/25 7:42		3728'57.1977"N		796'21.0064"W		56.523		800757.823		0		UNKNOWN		16		65536		CLASSIC		OMNI PEAK		140		100		100		5		11		15.302		-1.925		6.116		Yes		9/5/25 7:42		RTK		32		0.97		0.5		0.84		10190		-1339		Yes		RTK		3D		1.2		370		0.591		0.433		0.394		1.465				WME		Water Meter

		UP4861		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4861		9/5/25 7:43		3728'57.2391"N		796'24.9505"W		317.551		801075.374		0		UNKNOWN		28		65536		CLASSIC		OMNI PEAK		140		100		100		2		9		10.56		2.04		10.207		Yes		9/5/25 7:43		RTK		32		1.02		0.52		0.87		10218		-1339		Yes		RTK		3D		1.4		370		0.948		0.472		0.394		2.118				WME		Water Meter

		UP4862		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4862		9/5/25 7:45		3728'58.1130"N		796'26.5867"W		158.776		801234.15		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		100		100		0		11		9.256		1.276		-4.235		Yes		9/5/25 7:45		RTK		32		1.01		0.53		0.86		10323		-1339		Yes		RTK		3D		1.8		370		0.759		0.472		0.512		1.787				WME		Water Meter

		UP4863		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4863		9/5/25 7:46		3728'59.4621"N		796'28.8623"W		228.675		801462.825		0		UNKNOWN		26		65536		CLASSIC		OMNI PEAK		140		87.533		100		-8		9		9.806		-2.865		-8.077		Yes		9/5/25 7:46		RTK		32		1		0.51		0.86		10450		-1339		Yes		RTK		3D		1.2		370		0.591		0.472		0.591		1.513				WME		Water Meter

		UP4864		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4864		9/5/25 7:47		3729'0.5646"N		796'30.2822"W		159.928		801622.752		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		100		100		-10		10		12.237		-0.719		30.73		Yes		9/5/25 7:47		FLOAT RTK		32		0.96		0.5		0.82		10573		-1339		Yes		FLOAT RTK		3D		1		370		22.087		13.62		3.307		51.897				WME		Water Meter

		UP4865		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4865		9/5/25 7:49		3729'0.9491"N		796'33.2243"W		240.043		801862.795		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		100		7		12		10.655		-1.491		40.597		Yes		9/5/25 7:49		RTK		32		1.04		0.53		0.89		10741		-1339		Yes		RTK		3D		0.6		370		0.672		0.472		0.512		1.643				WME		Water Meter

		UP4866		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4866		9/5/25 7:50		3729'2.2952"N		796'36.5461"W		300.269		802163.064		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		100		100		2		9		13.598		-1.55		14.263		Yes		9/5/25 7:50		RTK		32		1		0.52		0.85		10925		-1339		Yes		RTK		3D		1.4		370		1.64		1.27		0.787		4.15				WME		Water Meter

		UP4867		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4867		9/5/25 7:52		3729'4.7323"N		796'33.6786"W		338.263		802501.327		0		UNKNOWN		180		65536		CLASSIC		OMNI PEAK		140		21.462		100		-9		10		9.351		0.868		22.152		Yes		9/5/25 7:52		RTK		32		1		0.52		0.85		10832		-1339		Yes		RTK		3D		1.4		370		0.759		0.433		0.472		1.747				WME		Water Meter

		UP4868		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4868		9/5/25 7:55		3729'5.6917"N		796'31.1334"W		226.836		802728.164		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		-1		10		6.649		-3.386		-10.516		Yes		9/5/25 7:55		RTK		32		1.03		0.53		0.89		10751		-1339		Yes		RTK		3D		1		370		1.388		0.85		0.709		3.256				WME		Water Meter

		UP4869		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4869		9/5/25 7:55		3729'6.2183"N		796'30.8496"W		58.105		802786.268		0		UNKNOWN		170		65536		CLASSIC		OMNI PEAK		140		36.739		100		1		7		9.496		0.175		63.506		Yes		9/5/25 7:55		RTK		32		0.98		0.52		0.84		10758		-1339		Yes		RTK		3D		1.4		370		1.27		0.759		0.63		2.959				WME		Water Meter

		UP4870		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4870		9/5/25 7:56		3729'5.2277"N		796'33.8375"W		260.678		803046.947		0		UNKNOWN		383		65536		CLASSIC		OMNI PEAK		140		32.203		100		-19		9		12.183		1.319		4.057		Yes		9/5/25 7:57		RTK		32		1.16		0.57		1.01		10841		-1339		Yes		RTK		3D		1.4		370		0.948		0.551		0.512		2.192				WME		Water Meter

		UP4871		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4871		9/5/25 7:58		3729'4.6270"N		796'38.2336"W		359.111		803406.058		0		UNKNOWN		17		65536		CLASSIC		OMNI PEAK		140		100		100		0		11		17.947		-1.325		-8.32		Yes		9/5/25 7:58		RTK		31		1.08		0.55		0.93		10929		-1339		Yes		RTK		3D		0.8		370		0.472		0.335		0.394		1.158				WME		Water Meter

		UP4872		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4872		9/5/25 7:59		3729'5.7349"N		796'38.9758"W		127.287		803533.344		0		UNKNOWN		38		65536		CLASSIC		OMNI PEAK		140		100		100		6		8		11.778		0.697		10.585		Yes		9/5/25 7:59		RTK		32		1.09		0.57		0.93		11009		-1339		Yes		RTK		3D		1		370		0.551		0.343		0.394		1.298				WME		Water Meter

		UP4873		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4873		9/5/25 8:03		3729'7.0592"N		796'39.9068"W		153.85		803687.194		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		36.547		100		4		10		16.736		1.823		15.176		Yes		9/5/25 8:03		RTK		32		1.09		0.56		0.93		11092		-1339		Yes		RTK		3D		1		370		0.759		0.551		0.512		1.875				WME		Water Meter

		UP4874		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4874		9/5/25 8:05		3729'21.6365"N		796'27.2386"W		1796.393		805483.587		0		UNKNOWN		15		65536		CLASSIC		OMNI PEAK		140		100		100		5		8		12.975		1.432		-24.082		Yes		9/5/25 8:05		RTK		32		1.12		0.57		0.97		10814		-1339		Yes		RTK		3D		0.8		370		2.058		0.672		0.866		4.329				WME		Water Meter

		UP4875		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4875		9/5/25 8:06		3729'21.6448"N		796'27.2110"W		2.377		805485.964		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		100		0		9		12.07		-1.002		-7.31		Yes		9/5/25 8:06		RTK		32		1.13		0.57		0.98		10828		-1339		Yes		RTK		3D		0.6		370		0.948		0.591		0.669		2.233				WME		Water Meter

		UP4876		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4876		9/5/25 8:08		3729'40.1572"N		795'59.2219"W		2933.111		808419.075		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		100		100		-2		5		18.682		4.132		-14.816		Yes		9/5/25 8:08		RTK		31		1.11		0.56		0.95		10919		-1339		Yes		RTK		3D		1.4		370		0.85		0.472		0.472		1.946				WME		Water Meter

		UP4877		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4877		9/5/25 8:09		3729'39.1747"N		795'59.0282"W		100.89		808519.965		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		100		100		0		8		15.145		-2.788		58.705		Yes		9/5/25 8:09		FLOAT RTK		32		1.2		0.57		1.06		10964		-1339		Yes		FLOAT RTK		3D		1.4		370		6.074		4.417		0.866		15.021				WME		Water Meter

		UP4878		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4878		9/5/25 8:12		3729'21.0607"N		795'47.8459"W		2046.279		810566.244		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		100		100		20		10		14.568		-0.689		-46.448		Yes		9/5/25 8:12		FLOAT RTK		31		1.27		0.6		1.12		10256		-1339		Yes		FLOAT RTK		3D		1		370		17.301		14.172		3.11		44.73				WME		Water Meter

		UP4879		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4879		9/5/25 8:14		3729'15.9196"N		795'45.3621"W		558.576		811124.82		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		100		100		1		9		13.13		-1.774		7.884		Yes		9/5/25 8:14		RTK		32		1.18		0.57		1.04		10192		-1339		Yes		RTK		3D		1.4		370		2.207		1.774		1.181		5.664				WME		Water Meter

		UP4880		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4880		9/5/25 8:16		3729'18.4573"N		795'46.8827"W		285.063		811409.883		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		18.749		100		10		12		16.626		-0.929		-51.323		Yes		9/5/25 8:16		FLOAT RTK		32		1.19		0.57		1.04		10137		-1339		Yes		FLOAT RTK		3D		1.6		370		3.681		3.497		0.512		10.155				WME		Water Meter

		UP4881		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4881		9/5/25 8:19		3729'42.1067"N		795'58.9973"W		2589.85		813999.733		0		UNKNOWN		15		65536		CLASSIC		OMNI PEAK		140		82.991		100		4		10		12.244		-2.94		7.89		Yes		9/5/25 8:19		FLOAT RTK		31		1.24		0.59		1.09		10884		-1339		Yes		FLOAT RTK		3D		0.8		370		5.154		4.233		1.22		13.339				WME		Water Meter

		UP4882		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4882		9/5/25 8:19		3729'42.5381"N		795'59.2217"W		47.348		814047.081		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		54.344		100		-4		11		13.13		-0.504		-67.477		Yes		9/5/25 8:19		RTK		32		1.24		0.59		1.09		10859		-1339		Yes		RTK		3D		1.4		370		0.759		0.591		0.709		1.923				WME		Water Meter

		UP4883		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4883		9/5/25 8:22		3729'49.6453"N		795'59.9152"W		723.18		814770.261		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		100		100		1		8		12.765		0.014		5.712		Yes		9/5/25 8:22		RTK		30		1.22		0.59		1.06		10572		-1339		Yes		RTK		3D		0.8		370		1.388		0.672		0.748		3.085				WME		Water Meter

		UP4884		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4884		9/5/25 8:23		3729'50.9076"N		795'59.8399"W		128.206		814898.467		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		0		11		14.172		3.171		-82.087		Yes		9/5/25 8:23		RTK		32		1.25		0.59		1.1		10555		-1339		Yes		RTK		3D		0.6		370		0.85		0.672		0.748		2.168				WME		Water Meter

		UP4885		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4885		9/5/25 8:26		3729'54.2729"N		795'59.5862"W		342.021		815240.488		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		35.027		100		18		10		7.767		-4.515		79.396		Yes		9/5/25 8:26		RTK		31		1.23		0.59		1.08		10624		-1339		Yes		RTK		3D		1.2		370		2.058		1.512		1.063		5.107				WME		Water Meter

		UP4886		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4886		9/5/25 8:28		3729'56.4398"N		795'59.4910"W		219.967		815460.455		0		UNKNOWN		41		65536		CLASSIC		OMNI PEAK		140		81.739		100		-1		9		10.868		0.241		33.31		Yes		9/5/25 8:28		RTK		32		1.22		0.59		1.06		10679		-1339		Yes		RTK		3D		0.6		370		1.157		0.85		0.748		2.873				WME		Water Meter

		UP4887		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4887		9/5/25 8:28		3729'56.7149"N		795'59.4850"W		27.912		815488.367		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		13.689		100		5		12		13.105		-1.371		-11.685		Yes		9/5/25 8:28		RTK		32		1.21		0.59		1.06		10693		-1339		Yes		RTK		3D		1.4		370		0.672		0.472		0.591		1.643				WME		Water Meter

		UP4888		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4888		9/5/25 8:32		3730'4.2305"N		795'58.7586"W		764.704		816253.072		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		52.826		100		5		9		10.98		-0.634		1.834		Yes		9/5/25 8:32		RTK		32		1.17		0.58		1.01		11073		-1339		Yes		RTK		3D		0.8		370		1.157		0.85		0.748		2.873				WME		Water Meter

		UP4889		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4889		9/5/25 8:34		3730'4.8107"N		795'59.7275"W		97.705		816350.777		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		31.22		100		-4		10		13.959		1.951		4.121		Yes		9/5/25 8:34		RTK		32		1.16		0.58		1		11059		-1339		Yes		RTK		3D		0.8		370		0.759		0.591		0.63		1.923				WME		Water Meter

		UP4890		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4890		9/5/25 8:35		3730'5.4214"N		795'59.6555"W		62.224		816413.001		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		100		100		5		10		17.374		0.277		22.929		Yes		9/5/25 8:35		RTK		32		1.15		0.58		0.99		11046		-1339		Yes		RTK		3D		1.2		370		0.948		0.759		0.748		2.427				WME		Water Meter

		UP4891		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4891		9/5/25 8:35		3730'5.4430"N		795'59.6486"W		2.26		816415.26		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		30.39		100		12		11		14.794		-2.151		-19.591		Yes		9/5/25 8:36		RTK		32		1.14		0.58		0.99		11044		-1339		Yes		RTK		3D		1		370		0.591		0.512		0.512		1.563				WME		Water Meter

		UP4892		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4892		9/5/25 8:37		3730'4.0272"N		795'59.7278"W		143.77		816559.03		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		100		100		-1		7		10.289		-0.44		-15.033		Yes		9/5/25 8:37		RTK		32		1.13		0.58		0.97		11056		-1339		Yes		RTK		3D		1.6		370		1.27		0.759		0.866		2.959				WME		Water Meter

		UP4893		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4893		9/5/25 8:39		3730'2.4009"N		795'59.9726"W		166.168		816725.199		0		UNKNOWN		32		65536		CLASSIC		OMNI PEAK		140		100		100		6		11		12.758		-2.153		-56.614		Yes		9/5/25 8:39		RTK		32		1.06		0.55		0.91		11006		-1339		Yes		RTK		3D		1.8		370		0.759		0.759		0.591		2.145				WME		Water Meter

		UP4894		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4894		9/5/25 8:39		3730'2.3790"N		795'59.9778"W		2.254		816727.453		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		14.629		100		2		10		15.026		-0.717		-82.522		Yes		9/5/25 8:40		RTK		32		1.18		0.59		1.02		11004		-1339		Yes		RTK		3D		1.8		370		0.672		0.591		0.551		1.789				WME		Water Meter

		UP4895		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4895		9/5/25 8:41		3730'0.7323"N		795'59.9050"W		167.164		816894.617		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		33.539		100		2		11		25.125		-2.407		-67.39		Yes		9/5/25 8:41		RTK		31		1.08		0.56		0.93		10854		-1339		Yes		RTK		3D		1.4		370		0.551		0.512		0.433		1.504				WME		Water Meter

		UP4896		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4896		9/5/25 8:47		3730'0.6808"N		796'37.1604"W		2998.536		819893.153		0		UNKNOWN		104		65536		CLASSIC		OMNI PEAK		140		60.561		100		9		10		20.412		-2.863		-47.674		Yes		9/5/25 8:47		RTK		32		1.05		0.56		0.89		9816		-1339		Yes		RTK		3D		1.2		461		0.759		0.591		0.551		1.923				WME		Water Meter

		UP4897		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4897		9/5/25 8:48		3730'1.3364"N		796'36.5871"W		80.952		819974.105		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		100		100		0		9		14.601		0.602		29.964		Yes		9/5/25 8:48		RTK		32		1.11		0.57		0.95		9700		-1339		Yes		RTK		3D		1.2		461		0.512		0.394		0.433		1.291				WME		Water Meter

		UP4898		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4898		9/5/25 8:49		3730'0.4911"N		796'37.4413"W		109.912		820084.017		0		UNKNOWN		29		65536		CLASSIC		OMNI PEAK		140		100		100		4		11		15.874		-0.897		30.663		Yes		9/5/25 8:49		RTK		31		1.1		0.57		0.94		9897		-1339		Yes		RTK		3D		1		461		1.157		0.85		0.748		2.873				WME		Water Meter

		UP4899		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4899		9/5/25 8:49		3729'59.8482"N		796'37.7207"W		68.987		820153.004		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		25.748		100		1		12		11.43		-2.154		38.215		Yes		9/5/25 8:49		RTK		31		1.1		0.57		0.94		9962		-1339		Yes		RTK		3D		0.8		461		0.759		0.591		0.591		1.923				WME		Water Meter

		UP4900		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4900		9/5/25 8:51		3729'59.0362"N		796'37.8229"W		82.786		820235.791		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		3		10		10.952		2.263		78.413		Yes		9/5/25 8:51		RTK		32		1.15		0.6		0.98		10041		-1339		Yes		RTK		3D		0.6		461		1.157		1.05		0.748		3.125				WME		Water Meter

		UP4901		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4901		9/5/25 8:53		3729'58.3428"N		796'37.7437"W		70.641		820306.432		0		UNKNOWN		58		65536		CLASSIC		OMNI PEAK		140		46.105		100		-2		9		12.74		-0.239		-30.215		Yes		9/5/25 8:53		RTK		32		1.14		0.6		0.96		10130		-1339		Yes		RTK		3D		1.2		461		1.388		0.759		0.669		3.164				WME		Water Meter

		UP4902		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4902		9/5/25 8:54		3729'57.3549"N		796'37.1326"W		111.635		820418.066		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		2		11		13.664		-3.888		-44.746		Yes		9/5/25 8:54		RTK		32		1.13		0.6		0.96		10192		-1339		Yes		RTK		3D		0.8		461		1.388		0.948		0.787		3.362				WME		Water Meter

		UP4903		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4903		9/5/25 8:55		3729'56.9317"N		796'36.8814"W		47.459		820465.526		0		UNKNOWN		45		65536		CLASSIC		OMNI PEAK		140		100		100		45		9		11.389		0.37		-2.36		Yes		9/5/25 8:55		RTK		32		1.13		0.6		0.95		10250		-1339		Yes		RTK		3D		0.4		461		0.948		0.759		0.591		2.427				WME		Water Meter

		UP4904		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4904		9/5/25 8:56		3729'55.8706"N		796'35.8763"W		134.658		820600.183		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		100		100		1		12		12.997		0.839		10.69		Yes		9/5/25 8:56		RTK		32		1.12		0.6		0.95		10319		-1339		Yes		RTK		3D		1.4		461		0.591		0.512		0.551		1.563				WME		Water Meter

		UP4905		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4905		9/5/25 8:56		3729'55.7699"N		796'35.8379"W		10.68		820610.863		0		UNKNOWN		28		65536		CLASSIC		OMNI PEAK		140		63.647		100		14		8		13.933		-0.692		-37.252		Yes		9/5/25 8:56		RTK		32		1.12		0.61		0.95		10323		-1339		Yes		RTK		3D		0.8		461		0.759		0.591		0.591		1.923				WME		Water Meter

		UP4906		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4906		9/5/25 8:57		3729'54.8715"N		796'35.5195"W		94.673		820705.536		0		UNKNOWN		280		65536		CLASSIC		OMNI PEAK		140		55.731		100		9		8		11.736		4.978		22.639		Yes		9/5/25 8:57		RTK		32		1.12		0.61		0.94		10280		-1339		Yes		RTK		3D		0.6		461		0.394		0.362		0.394		1.07				WME		Water Meter

		UP4907		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4907		9/5/25 8:58		3729'54.6216"N		796'34.3553"W		97.073		820802.609		0		UNKNOWN		24		65536		CLASSIC		OMNI PEAK		140		70.173		100		0		13		12.324		-0.655		-10.588		Yes		9/5/25 8:58		RTK		32		1.11		0.61		0.93		10278		-1339		Yes		RTK		3D		0.6		461		1.05		0.759		0.748		2.59				WME		Water Meter

		UP4908		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4908		9/5/25 9:00		3729'54.9978"N		796'34.0640"W		44.792		820847.401		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		30.231		100		-3		4		12.432		2.395		84.963		Yes		9/5/25 9:00		RTK		32		1.1		0.61		0.92		10261		-1339		Yes		RTK		3D		1		461		0.551		0.512		0.472		1.504				WME		Water Meter

		UP4909		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4909		9/5/25 9:00		3729'54.9730"N		796'34.0661"W		2.522		820849.923		0		UNKNOWN		33		65536		CLASSIC		OMNI PEAK		140		93.542		100		-6		9		13.556		1.536		14.215		Yes		9/5/25 9:00		RTK		32		1.1		0.61		0.92		10260		-1339		Yes		RTK		3D		1		461		0.591		0.472		0.433		1.513				WME		Water Meter

		UP4910		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4910		9/5/25 9:01		3729'55.5219"N		796'34.1347"W		55.956		820905.878		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		1.927		100		1		11		9.863		1.695		62.176		Yes		9/5/25 9:01		RTK		32		1.1		0.61		0.91		10257		-1339		Yes		RTK		3D		1		461		1.913		1.512		0.827		4.877				WME		Water Meter

		UP4911		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4911		9/5/25 9:01		3729'55.5393"N		796'34.1504"W		2.169		820908.047		0		UNKNOWN		10		65536		CLASSIC		OMNI PEAK		140		100		100		10		6		10.36		-0.346		-69.321		Yes		9/5/25 9:01		RTK		32		1.19		0.63		1		10255		-1339		Yes		RTK		3D		1		461		1.388		0.759		0.669		3.164				WME		Water Meter

		UP4912		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4912		9/5/25 9:01		3729'55.5573"N		796'34.1705"W		2.441		820910.488		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		30.369		100		14		10		16.162		-4.958		-33.764		Yes		9/5/25 9:01		RTK		32		1.19		0.63		1		10258		-1339		Yes		RTK		3D		0.4		461		1.774		0.85		0.787		3.935				WME		Water Meter

		UP4913		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4913		9/5/25 9:02		3729'55.5664"N		796'34.2180"W		3.934		820914.422		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		52.747		100		0		12		10.786		1.573		11.517		Yes		9/5/25 9:02		RTK		32		1.09		0.61		0.9		10265		-1339		Yes		RTK		3D		1.4		461		0.759		0.551		0.512		1.875				WME		Water Meter

		UP4914		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4914		9/5/25 9:03		3729'56.8418"N		796'35.7860"W		180.742		821095.164		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		26.628		100		-1		13		12.567		-1.237		-61.337		Yes		9/5/25 9:03		RTK		32		1.08		0.62		0.89		10273		-1339		Yes		RTK		3D		0.8		461		0.759		0.472		0.512		1.787				WME		Water Meter

		UP4915		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4915		9/5/25 9:05		3729'57.9906"N		796'36.7421"W		139.66		821234.824		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		1		12		15.554		-1.563		-12.016		Yes		9/5/25 9:05		RTK		32		1.08		0.62		0.88		10151		-1339		Yes		RTK		3D		1.4		461		2.058		1.774		0.866		5.434				WME		Water Meter

		UP4916		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4916		9/5/25 9:06		3729'58.7818"N		796'37.1001"W		85.283		821320.107		0		UNKNOWN		92		65536		CLASSIC		OMNI PEAK		140		44.203		100		0		6		19.17		-3.116		-3.484		Yes		9/5/25 9:06		RTK		31		1.07		0.62		0.87		10028		-1339		Yes		RTK		3D		1.4		461		0.759		0.672		0.551		2.027				WME		Water Meter

		UP4917		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4917		9/5/25 9:08		3730'0.0536"N		796'36.7773"W		131.62		821451.727		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		100		100		13		11		13.538		1.51		-51.977		Yes		9/5/25 9:08		RTK		32		0.99		0.58		0.81		9867		-1339		Yes		RTK		3D		0.8		461		0.551		0.472		0.433		1.452				WME		Water Meter

		UP4918		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4918		9/5/25 9:10		3730'0.9625"N		796'35.9938"W		111.711		821563.437		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		4		10		15.039		2.881		-57.794		Yes		9/5/25 9:10		RTK		32		0.97		0.55		0.8		9694		-1339		Yes		RTK		3D		1.4		461		0.512		0.472		0.394		1.393				WME		Water Meter

		UP4919		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4919		9/5/25 9:11		3730'1.9854"N		796'35.0811"W		127.136		821690.573		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		36.607		100		-1		9		15.995		-1.621		44.015		Yes		9/5/25 9:11		RTK		32		1.02		0.57		0.85		9467		-1339		Yes		RTK		3D		1.2		461		0.948		0.591		0.512		2.233				WME		Water Meter

		UP4920		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4920		9/5/25 9:15		3729'37.3319"N		796'7.2131"W		0		821690.573		0		UNKNOWN		58		65536		CLASSIC		OMNI PEAK		140		77.179		100		2		13		11.955		2.826		2.521		Yes		9/5/25 9:15		RTK		30		1.01		0.57		0.83		10750		-1339		Yes		RTK		3D		1.2		502		1.388		0.591		0.551		3.018				WME		Water Meter

		UP4921		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4921		9/5/25 9:16		3729'36.8473"N		796'10.1698"W		243.02		821933.593		0		UNKNOWN		29		65536		CLASSIC		OMNI PEAK		140		50.936		100		-10		9		10.97		1.946		68.067		Yes		9/5/25 9:16		FLOAT RTK		31		1.08		0.6		0.9		10873		-1339		Yes		FLOAT RTK		3D		0.8		502		3.313		2.761		0.472		8.625				WME		Water Meter

		UP4922		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4922		9/5/25 9:18		3729'41.1603"N		796'25.9346"W		1342.262		823275.855		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		-4		8		8.292		-2.51		11.143		Yes		9/5/25 9:18		RTK		30		1.07		0.6		0.89		10845		-1339		Yes		RTK		3D		0.8		502		1.913		0.948		0.787		4.27				WME		Water Meter

		UP4923		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4923		9/5/25 9:19		3729'41.7252"N		796'26.9918"W		102.591		823378.446		0		UNKNOWN		14		65536		CLASSIC		OMNI PEAK		140		100		100		-1		7		12.944		3.719		-23.778		Yes		9/5/25 9:19		RTK		30		1.07		0.6		0.88		10848		-1339		Yes		RTK		3D		1		502		2.858		1.512		0.866		6.467				WME		Water Meter

		UP4924		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4924		9/5/25 9:21		3729'45.5163"N		796'36.1166"W		829.07		824207.516		0		UNKNOWN		2267		65536		CLASSIC		OMNI PEAK		140		37.926		100		-22		10		11.254		-0.849		48.126		Yes		9/5/25 9:21		RTK		29		1.04		0.59		0.86		10917		-1339		Yes		RTK		3D		1.2		502		0.472		0.433		0.394		1.282				WME		Water Meter

		UP4925		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4925		9/5/25 9:22		3729'50.4602"N		796'42.7580"W		733.032		824940.548		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		36.108		100		-1		11		10.539		-0.125		-71.949		Yes		9/5/25 9:23		RTK		29		1.04		0.59		0.86		10717		-1339		Yes		RTK		3D		1.6		502		0.85		0.551		0.512		2.027				WME		Water Meter

		UP4926		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4926		9/5/25 9:24		3729'51.7395"N		796'43.4598"W		141.542		825082.09		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		35.066		100		-11		6		9.632		0.193		65.28		Yes		9/5/25 9:24		RTK		32		1.04		0.59		0.85		10627		-1339		Yes		RTK		3D		1		502		1.05		0.672		0.512		2.493				WME		Water Meter

		UP4927		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4927		9/5/25 9:26		3729'52.8064"N		796'44.2978"W		127.529		825209.62		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		100		100		2		10		15.993		-5.568		9.048		Yes		9/5/25 9:26		RTK		32		1.03		0.59		0.84		10547		-1339		Yes		RTK		3D		1		502		1.05		0.551		0.472		2.372				WME		Water Meter

		UP4928		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4928		9/5/25 9:28		3729'53.7105"N		796'46.3331"W		187.755		825397.374		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		7.322		100		38		10		11.191		1.022		5.279		Yes		9/5/25 9:28		RTK		32		1.09		0.61		0.9		10443		-1339		Yes		RTK		3D		1.4		502		1.64		0.85		0.669		3.695				WME		Water Meter

		UP4929		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4929		9/5/25 9:28		3729'53.9740"N		796'48.1704"W		150.27		825547.644		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		-8		6		14.164		-1.56		-2.521		Yes		9/5/25 9:29		RTK		32		1.02		0.59		0.83		10406		-1339		Yes		RTK		3D		1		502		0.759		0.551		0.551		1.875				WME		Water Meter

		UP4930		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4930		9/5/25 9:29		3729'54.1729"N		796'49.3231"W		94.948		825642.592		0		UNKNOWN		395		65536		CLASSIC		OMNI PEAK		140		37.881		100		0		8		9.367		0.71		17.497		Yes		9/5/25 9:29		RTK		32		1.02		0.59		0.83		10347		-1339		Yes		RTK		3D		0.8		502		0.948		0.591		0.551		2.233				WME		Water Meter

		UP4931		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4931		9/5/25 9:32		3729'57.3814"N		796'59.5296"W		883.634		826526.226		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		24.268		100		3		9		6.72		-6.034		-15.329		Yes		9/5/25 9:32		RTK		31		1.05		0.61		0.85		10582		-1339		Yes		RTK		3D		0.6		502		0.948		0.759		0.551		2.427				WME		Water Meter

		UP4932		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4932		9/5/25 9:34		3730'0.0490"N		796'58.9243"W		274.979		826801.206		0		UNKNOWN		25		65536		CLASSIC		OMNI PEAK		140		100		100		9		9		21.058		4.686		-86.776		Yes		9/5/25 9:34		RTK		32		1.02		0.61		0.82		10289		-1339		Yes		RTK		3D		1.2		502		1.27		0.551		0.512		2.77				WME		Water Meter

		UP4933		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4933		9/5/25 9:34		3730'0.9013"N		796'59.1334"W		88.091		826889.297		0		UNKNOWN		136		65536		CLASSIC		OMNI PEAK		140		82.402		100		5		9		8.911		-2.892		-31.999		Yes		9/5/25 9:34		RTK		32		0.97		0.59		0.77		10279		-1339		Yes		RTK		3D		1.2		502		0.672		0.512		0.472		1.689				WME		Water Meter

		UP4934		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4934		9/5/25 9:36		3730'2.2785"N		797'0.1490"W		161.869		827051.166		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		6		9		14.215		-1.057		11.507		Yes		9/5/25 9:36		RTK		32		1.1		0.64		0.9		10136		-1339		Yes		RTK		3D		0.6		502		0.512		0.354		0.394		1.245				WME		Water Meter

		UP4935		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4935		9/5/25 9:37		3730'4.4627"N		797'1.7718"W		257.221		827308.387		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		100		100		2		12		14.927		-0.48		81.886		Yes		9/5/25 9:37		RTK		32		0.99		0.61		0.78		9923		-1339		Yes		RTK		3D		1.2		502		0.759		0.672		0.512		2.027				WME		Water Meter

		UP4936		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4936		9/5/25 9:40		3730'6.3786"N		797'14.5189"W		1044.192		828352.579		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		55.274		100		3		9		14.357		-0.423		32.3		Yes		9/5/25 9:40		RTK		32		1.09		0.64		0.88		9562		-1339		Yes		RTK		3D		1.4		502		0.551		0.472		0.433		1.452				WME		Water Meter

		UP4937		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4937		9/5/25 9:43		3730'6.7010"N		797'11.8428"W		217.859		828570.438		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		100		100		1		12		13.682		-1.09		24.134		Yes		9/5/25 9:43		RTK		32		1.08		0.65		0.87		9529		-1339		Yes		RTK		3D		1.4		502		1.774		1.27		0.748		4.364				WME		Water Meter

		UP4938		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4938		9/5/25 9:44		3730'7.0561"N		797'8.8427"W		244.131		828814.568		0		UNKNOWN		10		65536		CLASSIC		OMNI PEAK		140		90.318		100		-2		12		15.856		-5.754		-68.562		Yes		9/5/25 9:44		RTK		32		1.07		0.62		0.87		9613		-1339		Yes		RTK		3D		1.4		502		1.774		0.85		0.709		3.935				WME		Water Meter

		UP4939		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4939		9/5/25 9:50		3730'5.4988"N		797'3.3772"W		467.394		829281.962		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		100		100		-6		12		17.511		0.994		-84.261		Yes		9/5/25 9:50		RTK		29		1.14		0.64		0.95		9868		-1339		Yes		RTK		3D		1.2		502		0.85		0.472		0.433		1.946				WME		Water Meter

		UP4940		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4940		9/5/25 9:51		3730'3.5429"N		797'1.6660"W		241.542		829523.504		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		4		9		13.667		-0.867		-25.979		Yes		9/5/25 9:51		RTK		30		1.14		0.64		0.95		10012		-1339		Yes		RTK		3D		1.2		502		4.412		2.858		1.181		10.514				WME		Water Meter

		UP4941		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4941		9/5/25 9:54		3730'2.2888"N		797'0.8011"W		145.03		829668.533		0		UNKNOWN		18		65536		CLASSIC		OMNI PEAK		140		81.775		100		1		11		10.669		-0.835		57.295		Yes		9/5/25 9:54		RTK		30		1.14		0.64		0.95		10131		-1339		Yes		RTK		3D		1.2		502		1.913		1.512		1.024		4.877				WME		Water Meter

		UP4942		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4942		9/5/25 9:54		3730'1.5310"N		797'0.2506"W		88.724		829757.258		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		93.361		100		-3		11		11.376		-0.174		42.599		Yes		9/5/25 9:54		RTK		30		1.14		0.64		0.95		10193		-1339		Yes		RTK		3D		1.2		502		1.388		0.759		0.709		3.164				WME		Water Meter

		UP4943		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4943		9/5/25 9:57		3729'53.9288"N		796'51.0075"W		1071.581		830828.838		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		18.552		100		1		10		11.883		-1.131		2.559		Yes		9/5/25 9:57		RTK		28		1.06		0.62		0.86		10280		-1339		Yes		RTK		3D		1		502		1.05		0.948		0.63		2.828				WME		Water Meter

		UP4944		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4944		9/5/25 9:59		3729'51.2950"N		796'43.8867"W		632.366		831461.204		0		UNKNOWN		23		65536		CLASSIC		OMNI PEAK		140		75.661		100		3		3		9.05		-1.577		-28.492		Yes		9/5/25 9:59		RTK		30		1.06		0.62		0.86		10648		-1339		Yes		RTK		3D		1.2		502		3.034		1.388		0.906		6.673				WME		Water Meter

		UP4945		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4945		9/5/25 10:00		3729'47.4086"N		796'41.0322"W		456.336		831917.541		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		6.762		100		1		11		4.632		1.9		-36.235		Yes		9/5/25 10:00		RTK		30		1.06		0.62		0.86		10970		-1339		Yes		RTK		3D		0.6		502		1.512		0.948		0.748		3.568				WME		Water Meter

		UP4946		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4946		9/5/25 10:04		3729'31.3562"N		796'20.0488"W		2346.226		834263.767		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		43.468		100		35		11		11.049		-0.93		-46.399		Yes		9/5/25 10:04		RTK		26		1.15		0.65		0.94		10891		-1339		Yes		RTK		3D		1.2		502		0.591		0.472		0.472		1.513				WME		Water Meter

		UP4947		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4947		9/5/25 10:05		3729'27.4831"N		796'22.3453"W		434.242		834698.008		0		UNKNOWN		72		65536		CLASSIC		OMNI PEAK		140		70.678		100		-5		5		11.43		-0.377		34.505		Yes		9/5/25 10:05		RTK		29		1.06		0.63		0.86		10747		-1339		Yes		RTK		3D		0.6		502		0.85		0.672		0.669		2.168				WME		Water Meter

		UP4948		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4948		9/5/25 10:08		3729'16.1318"N		796'36.2344"W		1605.044		836303.052		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		2		8		15.714		-0.933		43.228		Yes		9/5/25 10:08		RTK		30		1.07		0.63		0.86		10940		-1339		Yes		RTK		3D		1.4		502		0.759		0.551		0.472		1.875				WME		Water Meter

		UP4949		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4949		9/5/25 10:08		3729'16.1460"N		796'36.2180"W		1.951		836305.003		0		UNKNOWN		67		65536		CLASSIC		OMNI PEAK		140		84.085		100		2		12		13.327		0.61		-5.696		Yes		9/5/25 10:08		RTK		29		1.07		0.63		0.86		10940		-1339		Yes		RTK		3D		0.6		502		0.759		0.512		0.512		1.83				WME		Water Meter

		UP4950		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4950		9/5/25 10:12		3729'11.3504"N		796'39.7965"W		565.403		836870.406		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		100		-1		12		18.872		-4.225		-21.418		Yes		9/5/25 10:12		RTK		29		0.99		0.59		0.79		10745		-1339		Yes		RTK		3D		1		502		2.688		2.362		0.984		7.156				WME		Water Meter

		UP4951		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4951		9/5/25 10:13		3729'13.4115"N		796'38.2723"W		242.441		837112.846		0		UNKNOWN		91		65536		CLASSIC		OMNI PEAK		140		67.16		100		-6		3		14.77		1.653		80.913		Yes		9/5/25 10:13		RTK		29		1.06		0.61		0.87		10756		-1339		Yes		RTK		3D		1.2		502		0.472		0.394		0.394		1.23				WME		Water Meter

		UP4952		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4952		9/5/25 10:15		3729'10.1678"N		796'40.8291"W		388.138		837500.984		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		100		100		0		11		7.761		-2.555		-16.645		Yes		9/5/25 10:15		RTK		29		1.06		0.61		0.87		10902		-1339		Yes		RTK		3D		1		502		1.157		0.85		0.63		2.873				WME		Water Meter

		UP4953		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4953		9/5/25 10:19		3729'7.0173"N		796'46.4358"W		553.062		838054.046		0		UNKNOWN		25		65536		CLASSIC		OMNI PEAK		140		86.191		100		0		10		7.852		-0.188		-23.674		Yes		9/5/25 10:19		RTK		29		1.05		0.61		0.86		11094		-1339		Yes		RTK		3D		1		502		1.388		0.759		0.591		3.164				WME		Water Meter

		UP4954		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4954		9/5/25 10:19		3729'7.0066"N		796'46.5367"W		8.187		838062.233		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		38.609		100		1		12		9.771		0.737		-66.351		Yes		9/5/25 10:19		RTK		29		1.05		0.61		0.86		11098		-1339		Yes		RTK		3D		1.8		502		0.551		0.433		0.394		1.402				WME		Water Meter

		UP4955		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4955		9/5/25 10:43		3729'6.5191"N		796'50.7663"W		344.071		838406.304		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		9.061		100		2		10		9.155		2.412		88.226		Yes		9/5/25 10:43		RTK		27		1.13		0.59		0.96		11109		-1339		Yes		RTK		3D		0.8		502		0.672		0.672		0.472		1.9				WME		Water Meter

		UP4956		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4956		9/5/25 10:44		3729'6.3304"N		796'52.1460"W		112.703		838519.008		0		UNKNOWN		32		65536		CLASSIC		OMNI PEAK		140		100		100		8		7		9.865		-2.291		-44.463		Yes		9/5/25 10:44		RTK		29		1.13		0.59		0.96		11098		-1339		Yes		RTK		3D		0.6		502		1.157		1.05		0.63		3.125				WME		Water Meter

		UP4957		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4957		9/5/25 10:46		3729'6.2336"N		796'53.3175"W		94.815		838613.823		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		100		100		4		10		11.879		1.226		82.858		Yes		9/5/25 10:46		RTK		29		1.2		0.62		1.03		11133		-1339		Yes		RTK		3D		1.4		502		1.27		0.551		0.512		2.77				WME		Water Meter

		UP4958		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4958		9/5/25 10:47		3729'5.9640"N		796'55.1489"W		149.949		838763.772		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		140		100		100		-1		12		8.575		-6.628		-1.787		Yes		9/5/25 10:47		RTK		29		1.2		0.62		1.03		11145		-1339		Yes		RTK		3D		1.4		502		1.27		0.948		0.63		3.17				WME		Water Meter

		UP4959		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4959		9/5/25 10:48		3729'5.7689"N		796'56.2346"W		89.613		838853.385		0		UNKNOWN		64		65536		CLASSIC		OMNI PEAK		140		87.944		100		6		7		12.805		0.037		-33.895		Yes		9/5/25 10:48		RTK		29		1.14		0.59		0.97		11133		-1339		Yes		RTK		3D		1.8		502		0.672		0.551		0.472		1.738				WME		Water Meter

		UP4960		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4960		9/5/25 10:49		3729'5.5504"N		796'57.7726"W		125.784		838979.169		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		23.281		100		-3		8		14.453		-3.013		37.535		Yes		9/5/25 10:49		RTK		29		1.21		0.61		1.04		11109		-1339		Yes		RTK		3D		1.4		502		1.388		1.157		0.669		3.615				WME		Water Meter

		UP4961		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4961		9/5/25 10:49		3729'5.2050"N		796'59.7063"W		159.564		839138.734		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		9.512		100		0		11		13.507		1.139		-88.599		Yes		9/5/25 10:50		RTK		29		1.21		0.61		1.04		11111		-1339		Yes		RTK		3D		1		502		1.05		0.672		0.512		2.493				WME		Water Meter

		UP4962		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4962		9/5/25 10:53		3729'5.8031"N		797'1.6078"W		164.659		839303.393		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		23.552		100		-5		6		14.349		-1.686		-38.539		Yes		9/5/25 10:53		RTK		29		1.21		0.61		1.05		11053		-1339		Yes		RTK		3D		0.8		502		1.512		0.551		0.512		3.218				WME		Water Meter

		UP4963		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4963		9/5/25 10:54		3729'6.7713"N		797'2.6049"W		126.856		839430.248		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		32.974		100		18		11		9.523		0.967		-30.415		Yes		9/5/25 10:54		RTK		28		1.22		0.61		1.05		10947		-1339		Yes		RTK		3D		1.2		502		1.157		0.672		0.551		2.677				WME		Water Meter

		UP4964		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4964		9/5/25 10:55		3729'6.6272"N		797'2.3757"W		23.543		839453.791		0		UNKNOWN		74		65536		CLASSIC		OMNI PEAK		140		61.983		100		3		12		8.401		2.181		-66.832		Yes		9/5/25 10:55		RTK		29		1.22		0.61		1.05		10956		-1339		Yes		RTK		3D		2		502		1.512		0.759		0.63		3.383				WME		Water Meter

		UP4965		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4965		9/5/25 10:57		3729'7.6804"N		797'3.4850"W		139.249		839593.041		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		8		10		21.445		-4.009		-9.142		Yes		9/5/25 10:57		RTK		30		1.22		0.61		1.06		10912		-1339		Yes		RTK		3D		1.2		502		0.85		0.672		0.512		2.168				WME		Water Meter

		UP4966		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4966		9/5/25 10:58		3729'8.7716"N		797'4.8116"W		153.819		839746.859		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		100		100		1		10		11.554		-1.131		32.618		Yes		9/5/25 10:58		RTK		30		1.22		0.61		1.06		10916		-1339		Yes		RTK		3D		1.4		502		1.27		1.27		0.709		3.593				WME		Water Meter

		UP4967		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4967		9/5/25 11:00		3729'10.0869"N		797'6.1166"W		169.827		839916.686		0		UNKNOWN		22		65536		CLASSIC		OMNI PEAK		140		100		100		-14		7		13.34		-3.359		36.133		Yes		9/5/25 11:00		RTK		31		1.22		0.61		1.06		10944		-1339		Yes		RTK		3D		1		502		1.05		0.948		0.63		2.828				WME		Water Meter

		UP4968		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4968		9/5/25 11:01		3729'11.3837"N		797'7.7363"W		185.23		840101.917		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		14.272		100		4		13		11.663		-0.426		-0.303		Yes		9/5/25 11:01		RTK		31		1.22		0.61		1.06		10905		-1339		Yes		RTK		3D		1.4		502		0.591		0.512		0.433		1.563				WME		Water Meter

		UP4969		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4969		9/5/25 11:04		3729'12.0764"N		797'8.6868"W		103.892		840205.809		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		30.267		100		13		9		10.922		-3.591		79.011		Yes		9/5/25 11:04		RTK		32		1.11		0.58		0.94		10911		-1339		Yes		RTK		3D		0.8		502		0.394		0.346		0.394		1.049				WME		Water Meter

		UP4970		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4970		9/5/25 11:05		3729'12.3484"N		797'9.0238"W		38.697		840244.507		0		UNKNOWN		682		65536		CLASSIC		OMNI PEAK		140		26.596		100		-26		10		10.87		0.319		-46.291		Yes		9/5/25 11:05		RTK		32		1.11		0.58		0.94		10917		-1339		Yes		RTK		3D		1.2		502		0.472		0.394		0.394		1.23				WME		Water Meter

		UP4971		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4971		9/5/25 11:07		3729'13.5487"N		797'12.1576"W		280.119		840524.626		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		1.835		100		-8		9		18.193		-3.006		-42.315		Yes		9/5/25 11:07		RTK		32		1.11		0.58		0.94		10921		-1339		Yes		RTK		3D		0.8		502		1.05		0.85		0.551		2.702				WME		Water Meter

		UP4972		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4972		9/5/25 11:09		3729'14.2268"N		797'13.6811"W		140.623		840665.249		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		100		100		-1		13		12.549		0.23		75.401		Yes		9/5/25 11:09		RTK		32		1.02		0.56		0.85		10870		-1339		Yes		RTK		3D		1.6		502		0.551		0.472		0.394		1.452				WME		Water Meter

		UP4973		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4973		9/5/25 11:11		3729'15.2943"N		797'15.6747"W		193.602		840858.851		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		23.86		100		-1		9		9.284		-1.298		7.871		Yes		9/5/25 11:11		RTK		32		1.02		0.56		0.85		10750		-1339		Yes		RTK		3D		1.8		502		1.27		0.759		0.512		2.959				WME		Water Meter

		UP4974		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4974		9/5/25 11:11		3729'15.6427"N		797'16.3348"W		63.819		840922.67		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		58.264		100		-16		8		9.072		-4.068		74.699		Yes		9/5/25 11:11		RTK		31		1.02		0.56		0.86		10707		-1339		Yes		RTK		3D		1		502		0.512		0.433		0.394		1.341				WME		Water Meter

		UP4975		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4975		9/5/25 11:12		3729'16.3074"N		797'17.3293"W		104.67		841027.34		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		-2		11		9.548		-0.611		-75.751		Yes		9/5/25 11:12		RTK		32		1.1		0.58		0.94		10673		-1339		Yes		RTK		3D		1		502		0.672		0.512		0.433		1.689				WME		Water Meter

		UP4976		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4976		9/5/25 11:13		3729'17.0106"N		797'18.3416"W		108.306		841135.646		0		UNKNOWN		27		65536		CLASSIC		OMNI PEAK		140		100		100		0		13		11.55		-1.336		7.055		Yes		9/5/25 11:13		RTK		32		1.1		0.58		0.93		10696		-1339		Yes		RTK		3D		0.8		502		0.591		0.551		0.433		1.616				WME		Water Meter

		UP4977		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4977		9/5/25 11:17		3729'17.6035"N		797'19.1247"W		87.131		841222.777		0		UNKNOWN		16		65536		CLASSIC		OMNI PEAK		140		100		100		2		11		14.193		-3.957		-84.246		Yes		9/5/25 11:17		RTK		32		1.02		0.56		0.86		10698		-1339		Yes		RTK		3D		1.2		502		0.672		0.591		0.472		1.789				WME		Water Meter

		UP4978		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4978		9/5/25 11:18		3729'18.7780"N		797'20.6871"W		173.254		841396.031		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		7.601		100		-36		11		10.341		-2.549		-77.381		Yes		9/5/25 11:18		RTK		32		1.02		0.56		0.86		10735		-1339		Yes		RTK		3D		1.2		502		0.378		0.331		0.394		1.004				WME		Water Meter

		UP4979		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4979		9/5/25 11:20		3729'19.9223"N		797'22.4294"W		182.063		841578.093		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		63.431		100		-2		10		10.29		-2.242		-28.655		Yes		9/5/25 11:20		RTK		31		1.08		0.57		0.92		10698		-1339		Yes		RTK		3D		1		502		1.05		0.759		0.551		2.59				WME		Water Meter

		UP4980		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4980		9/5/25 11:30		3729'12.3830"N		797'17.8013"W		850.771		842428.864		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		36.254		100		0		11		10.358		-1.211		-5.618		Yes		9/5/25 11:30		RTK		32		1.02		0.56		0.85		10737		-1339		Yes		RTK		3D		1.2		502		1.388		0.551		0.512		2.988				WME		Water Meter

		UP4981		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4981		9/5/25 11:34		3729'11.0293"N		797'16.1603"W		190.556		842619.42		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		10		11		4.095		-1.22		0.81		Yes		9/5/25 11:34		RTK		32		1.01		0.56		0.84		10814		-1339		Yes		RTK		3D		1.2		502		0.85		0.591		0.433		2.071				WME		Water Meter

		UP4982		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4982		9/5/25 11:35		3729'11.0599"N		797'16.0826"W		6.978		842626.399		0		UNKNOWN		15		65536		CLASSIC		OMNI PEAK		140		100		100		-2		6		25.465		-2.159		1.946		Yes		9/5/25 11:35		RTK		32		1.01		0.56		0.84		10820		-1339		Yes		RTK		3D		1.4		502		0.512		0.394		0.394		1.291				WME		Water Meter

		UP4983		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4983		9/5/25 11:44		3729'13.2679"N		797'12.4357"W		369.277		842995.676		0		UNKNOWN		546		65536		CLASSIC		OMNI PEAK		140		81.43		100		-5		5		11.387		1.697		-5.861		Yes		9/5/25 11:44		RTK		32		1.04		0.59		0.86		10906		-1339		Yes		RTK		3D		1.2		502		0.948		0.85		0.551		2.546				WME		Water Meter

		UP4984		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4984		9/5/25 11:48		3729'13.2706"N		797'12.4373"W		0.299		842995.976		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		24.586		100		-10		9		10.753		-0.248		51.464		Yes		9/5/25 11:48		RTK		31		1.14		0.63		0.95		10903		-1339		Yes		RTK		3D		0.8		502		0.85		0.591		0.63		2.071				WME		Water Meter

		UP4985		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4985		9/5/25 11:49		3729'12.7677"N		797'11.0505"W		122.744		843118.719		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		1.406		100		5		8		9.691		0.348		-1.06		Yes		9/5/25 11:49		RTK		31		1.11		0.62		0.92		10961		-1339		Yes		RTK		3D		1.2		502		1.388		1.05		0.827		3.481				WME		Water Meter

		UP4986		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4986		9/5/25 11:50		3729'12.2694"N		797'9.9414"W		102.599		843221.318		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		0		13		13.563		-2.396		-22.013		Yes		9/5/25 11:50		RTK		31		1.16		0.64		0.96		10965		-1339		Yes		RTK		3D		1.2		502		0.591		0.551		0.472		1.616				WME		Water Meter

		UP4987		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4987		9/5/25 11:51		3729'11.8816"N		797'9.1806"W		72.798		843294.116		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		7.84		100		4		13		15.552		-3.013		-5.096		Yes		9/5/25 11:51		RTK		32		1.17		0.64		0.98		10946		-1339		Yes		RTK		3D		1		502		0.85		0.672		0.551		2.168				WME		Water Meter

		UP4988		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4988		9/5/25 13:06		3729'10.8885"N		797'7.8825"W		145.155		843439.271		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		139		18.036		100		-3		10		9.934		-2.101		-11.616		Yes		9/5/25 13:06		RTK		26		1.09		0.57		0.93		10929		-1339		Yes		RTK		3D		2.6		769		0.948		0.591		0.591		2.233				WME		Water Meter

		UP4989		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4989		9/5/25 13:08		3729'10.2780"N		797'7.1068"W		87.951		843527.222		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		139		6.741		100		-16		9		11.581		-3.23		-60.565		Yes		9/5/25 13:08		RTK		28		1.05		0.53		0.91		10951		-1339		Yes		RTK		3D		1		769		1.388		0.759		0.709		3.164				WME		Water Meter

		UP4990		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4990		9/5/25 13:09		3729'9.6918"N		797'6.5950"W		72.344		843599.565		0		UNKNOWN		230		65536		CLASSIC		OMNI PEAK		139		10.005		100		-5		11		14.353		-0.066		31.441		Yes		9/5/25 13:09		RTK		29		1.12		0.57		0.97		10977		-1339		Yes		RTK		3D		1.6		769		0.472		0.366		0.394		1.195				WME		Water Meter

		UP4991		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4991		9/5/25 13:11		3729'8.1483"N		797'4.6026"W		224.157		843823.722		0		UNKNOWN		14		65536		CLASSIC		OMNI PEAK		139		78.205		100		0		11		9.014		2.862		-50.244		Yes		9/5/25 13:11		RTK		31		1.12		0.57		0.97		10922		-1339		Yes		RTK		3D		1.8		769		2.058		0.759		0.827		4.386				WME		Water Meter

		UP4992		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4992		9/5/25 13:12		3729'6.7999"N		797'3.2386"W		175.418		843999.14		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		139		32.51		100		0		11		8.451		-0.157		67.356		Yes		9/5/25 13:12		RTK		32		1.12		0.57		0.96		10942		-1339		Yes		RTK		3D		1.4		769		0.591		0.512		0.63		1.563				WME		Water Meter

		UP4993		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4993		9/5/25 13:13		3729'6.1503"N		797'2.6624"W		80.587		844079.727		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		139		100		100		-1		12		17.966		-1.4		27.331		Yes		9/5/25 13:13		RTK		32		1.12		0.57		0.96		10990		-1339		Yes		RTK		3D		0.8		769		1.157		0.512		0.551		2.531				WME		Water Meter

		UP4994		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4994		9/5/25 13:15		3729'8.1500"N		797'4.6039"W		256.097		844335.824		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		139		35.466		100		2		11		13.332		-1.892		29.608		Yes		9/5/25 13:15		RTK		32		1.12		0.57		0.96		10923		-1339		Yes		RTK		3D		0.8		769		0.672		0.551		0.591		1.738				WME		Water Meter

		UP4995		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4995		9/5/25 13:18		3729'4.2576"N		797'1.8044"W		454.672		844790.496		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		139		24.589		100		-45		10		9.557		-1.661		-26.172		Yes		9/5/25 13:18		FLOAT RTK		30		1.15		0.57		1		11004		-1339		Yes		FLOAT RTK		3D		1.4		769		9.019		6.81		2.047		22.602				WME		Water Meter

		UP4996		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4996		9/5/25 13:20		3729'3.2300"N		797'3.0645"W		145.461		844935.957		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		139		38.386		100		-1		13		12.508		-0.545		-4.227		Yes		9/5/25 13:20		RTK		31		1.17		0.58		1.02		10936		-1339		Yes		RTK		3D		1.4		769		0.672		0.551		0.551		1.738				WME		Water Meter

		UP4997		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4997		9/5/25 13:21		3729'3.4952"N		797'2.9616"W		28.152		844964.11		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		139		79.633		100		0		12		20.185		0.622		-61.2		Yes		9/5/25 13:21		RTK		31		1.07		0.55		0.92		10943		-1339		Yes		RTK		3D		1.2		769		5.798		1.05		0.945		11.784				WME		Water Meter

		UP4998		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4998		9/5/25 13:21		3729'2.4687"N		797'3.8419"W		125.964		845090.074		0		UNKNOWN		160		65536		CLASSIC		OMNI PEAK		139		65.684		100		-3		11		10.884		-0.655		0.504		Yes		9/5/25 13:21		RTK		32		1.07		0.55		0.92		10894		-1339		Yes		RTK		3D		1.2		769		1.512		0.85		0.709		3.469				WME		Water Meter

		UP4999		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		4999		9/5/25 13:24		3729'1.4159"N		797'4.9451"W		138.9		845228.974		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		139		100		100		-1		7		12.355		-1.136		15.864		Yes		9/5/25 13:24		RTK		32		1.12		0.56		0.97		10844		-1339		Yes		RTK		3D		0.8		769		0.551		0.472		0.551		1.452				WME		Water Meter

		UP5000		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5000		9/5/25 13:25		3729'0.6627"N		797'5.7249"W		98.895		845327.869		0		UNKNOWN		26		65536		CLASSIC		OMNI PEAK		140		40.754		100		5		9		24.866		0.461		18.438		Yes		9/5/25 13:25		RTK		31		1.19		0.58		1.03		10833		-1339		Yes		RTK		3D		0.8		769		0.759		0.672		0.63		2.027				WME		Water Meter

		UP5001		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5001		9/5/25 13:27		3728'59.4078"N		797'6.8181"W		154.772		845482.641		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		20.23		100		-4		9		14.753		-1.391		-83.115		Yes		9/5/25 13:27		RTK		32		1.18		0.58		1.03		10801		-1339		Yes		RTK		3D		0.6		769		1.157		0.759		0.787		2.768				WME		Water Meter

		UP5002		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5002		9/5/25 13:31		3729'4.7762"N		797'9.2953"W		579.995		846062.636		0		UNKNOWN		154		65536		CLASSIC		OMNI PEAK		140		52.864		100		-14		5		10.465		-0.356		-2.825		Yes		9/5/25 13:31		FLOAT RTK		32		0.98		0.51		0.83		10833		-1339		Yes		FLOAT RTK		3D		1		769		3.313		2.393		0.551		8.173				WME		Water Meter

		UP5003		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5003		9/5/25 13:31		3729'4.8317"N		797'9.3521"W		7.256		846069.892		0		UNKNOWN		1117		65536		CLASSIC		OMNI PEAK		140		100		100		0		11		14.684		4.544		-6.738		Yes		9/5/25 13:31		FLOAT RTK		31		1.02		0.51		0.88		10761		-1339		Yes		FLOAT RTK		3D		0.6		769		3.129		2.393		0.63		7.878				WME		Water Meter

		UP5004		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5004		9/5/25 13:32		3729'5.1338"N		797'9.6265"W		37.775		846107.666		0		UNKNOWN		29		65536		CLASSIC		OMNI PEAK		140		100		100		-1		2		13.565		-2.224		-61.25		Yes		9/5/25 13:32		RTK		32		1		0.51		0.87		10822		-1339		Yes		RTK		3D		0.8		769		1.157		0.948		0.709		2.992				WME		Water Meter

		UP5005		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		5005		9/5/25 13:33		3729'7.5337"N		797'11.8631"W		302.812		846410.478		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		100		-2		8		9.001		-2.378		3.373		Yes		9/5/25 13:33		DGPS SPS VALID		30		1.12		0.56		0.97		10800		-1339		Yes		DIFFERENTIAL		3D		1.2		769		3.827		2.615		3.583		9.27				WME		Water Meter

		UP5006		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5006		9/5/25 13:33		3729'7.5345"N		797'11.8573"W		0.473		846410.951		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		100		-14		4		11.431		-4.578		-24.563		Yes		9/5/25 13:33		FLOAT RTK		31		1.08		0.53		0.94		10801		-1339		Yes		FLOAT RTK		3D		1.4		769		5.522		3.865		0.906		13.48				WME		Water Meter

		UP5007		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5007		9/5/25 13:40		3729'8.4615"N		797'12.9984"W		131.462		846542.413		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		36.281		100		0		11		9.73		-0.337		-8.141		Yes		9/5/25 13:40		FLOAT RTK		32		1.33		0.6		1.18		10740		-1339		Yes		FLOAT RTK		3D		1.2		769		14.172		8.282		1.969		32.83				WME		Water Meter

		UP5008		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5008		9/5/25 13:42		3729'9.4383"N		797'14.2357"W		140.507		846682.92		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		8.961		100		-6		5		12.292		-3.519		8.351		Yes		9/5/25 13:42		RTK		30		1.33		0.6		1.19		10664		-1339		Yes		RTK		3D		0.6		769		0.551		0.433		0.472		1.402				WME		Water Meter

		UP5009		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5009		9/5/25 13:46		3729'12.0666"N		797'19.3603"W		491.203		847174.123		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		25.765		100		-30		10		13.241		2.08		8.879		Yes		9/5/25 13:46		RTK		32		1.18		0.55		1.04		10581		-1339		Yes		RTK		3D		1.4		769		0.591		0.472		0.512		1.513				WME		Water Meter

		UP5010		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5010		9/5/25 13:48		3729'10.1468"N		797'16.9771"W		273.388		847447.511		0		UNKNOWN		83		65536		CLASSIC		OMNI PEAK		140		100		100		-14		11		12.014		-1.985		-51.481		Yes		9/5/25 13:48		RTK		32		1.07		0.52		0.94		10668		-1339		Yes		RTK		3D		1.2		769		0.551		0.382		0.472		1.341				WME		Water Meter

		UP5011		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5011		9/5/25 13:53		3729'22.7572"N		797'25.0653"W		1435.484		848882.995		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		52.391		100		-8		6		24.729		-4.899		-20.307		Yes		9/5/25 13:53		RTK		32		1.26		0.6		1.1		10435		-1339		Yes		RTK		3D		0.8		769		1.64		0.551		0.787		3.461				WME		Water Meter

		UP5012		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5012		9/5/25 13:55		3729'21.6751"N		797'24.2765"W		126.816		849009.811		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		100		100		0		11		13.964		1.045		-19.95		Yes		9/5/25 13:55		RTK		32		1.11		0.55		0.96		10546		-1339		Yes		RTK		3D		1.6		769		1.913		0.759		0.827		4.117				WME		Water Meter

		UP5013		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5013		9/5/25 13:55		3729'21.7284"N		797'24.3138"W		6.178		849015.989		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		11.202		100		0		11		8.403		-0.641		-5.325		Yes		9/5/25 13:55		RTK		32		1.06		0.52		0.92		10539		-1339		Yes		RTK		3D		1.8		769		0.948		0.512		0.591		2.154				WME		Water Meter

		UP5014		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5014		9/5/25 13:59		3729'34.0646"N		797'27.7728"W		1282.119		850298.107		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		26.064		100		47		10		12.617		-7.915		-46.219		Yes		9/5/25 13:59		RTK		32		0.99		0.51		0.85		10199		-1339		Yes		RTK		3D		1.6		769		0.472		0.472		0.394		1.336				WME		Water Meter

		UP5015		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5015		9/5/25 14:02		3730'4.4518"N		797'21.6649"W		3121.746		853419.853		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		28.015		100		0		13		12.999		-2.31		32.595		Yes		9/5/25 14:02		RTK		32		1.1		0.54		0.95		9386		-1339		Yes		RTK		3D		1.4		769		0.759		0.512		0.551		1.83				WME		Water Meter

		UP5016		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5016		9/5/25 14:02		3730'4.4557"N		797'21.6438"W		1.741		853421.594		0		UNKNOWN		613		65536		CLASSIC		OMNI PEAK		140		65.399		100		1		9		14.224		2.944		-35.891		Yes		9/5/25 14:02		RTK		31		1.1		0.54		0.95		9385		-1339		Yes		RTK		3D		1		769		0.759		0.591		0.591		1.923				WME		Water Meter

		UP5017		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5017		9/5/25 14:05		3730'6.6756"N		797'24.0963"W		299.465		853721.059		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		40.924		100		14		4		15.8		6.823		-29.74		Yes		9/5/25 14:05		FLOAT RTK		32		1.12		0.56		0.97		9268		-1339		Yes		FLOAT RTK		3D		1		769		3.865		2.393		0.63		9.092				WME		Water Meter

		UP5018		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5018		9/5/25 14:08		3730'7.0119"N		797'24.8066"W		66.582		853787.64		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		100		100		0		9		11.574		-0.342		-62.489		Yes		9/5/25 14:08		RTK		32		1.09		0.54		0.94		9139		-1339		Yes		RTK		3D		0.8		769		0.512		0.433		0.433		1.341				WME		Water Meter

		UP5019		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5019		9/5/25 14:08		3730'7.0066"N		797'24.8318"W		2.094		853789.734		0		UNKNOWN		55		65536		CLASSIC		OMNI PEAK		140		73.712		100		-3		13		10.297		-0.87		-8.476		Yes		9/5/25 14:08		RTK		32		1.14		0.57		0.99		9136		-1339		Yes		RTK		3D		2.2		769		0.85		0.472		0.512		1.946				WME		Water Meter

		UP5020		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5020		9/5/25 14:08		3730'7.0058"N		797'24.8517"W		1.609		853791.343		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		100		100		-1		13		13.256		0.984		-61.551		Yes		9/5/25 14:08		RTK		32		1.06		0.54		0.91		9135		-1339		Yes		RTK		3D		2.6		769		0.672		0.433		0.551		1.599				WME		Water Meter

		UP5021		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5021		9/5/25 14:08		3730'7.0138"N		797'24.8702"W		1.694		853793.038		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		54.541		100		-7		10		11.427		0.804		-17.764		Yes		9/5/25 14:08		RTK		32		1.04		0.53		0.9		9133		-1339		Yes		RTK		3D		1.2		769		1.27		0.759		0.748		2.959				WME		Water Meter

		UP5022		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5022		9/5/25 14:08		3730'7.0263"N		797'24.8812"W		1.54		853794.577		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		96.877		100		-15		9		16.094		-5.238		78.981		Yes		9/5/25 14:08		RTK		32		1.11		0.55		0.97		9132		-1339		Yes		RTK		3D		1.4		769		0.672		0.472		0.512		1.643				WME		Water Meter

		UP5023		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5023		9/5/25 14:14		3730'25.3397"N		797'12.8402"W		2095.452		855890.03		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		100		-1		9		10.823		1.771		-75.217		Yes		9/5/25 14:14		RTK		32		1.03		0.54		0.88		8524		-1339		Yes		RTK		3D		0.4		769		0.948		0.512		0.512		2.154				WME		Water Meter

		UP5024		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5024		9/5/25 14:14		3730'25.3308"N		797'12.8235"W		1.621		855891.65		0		UNKNOWN		31		65536		CLASSIC		OMNI PEAK		140		100		100		1		6		13.259		1.374		27.181		Yes		9/5/25 14:14		RTK		32		0.98		0.51		0.84		8519		-1339		Yes		RTK		3D		1		769		0.512		0.378		0.394		1.272				WME		Water Meter

		UP5025		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5025		9/5/25 14:14		3730'25.3102"N		797'12.7823"W		3.922		855895.572		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		1		9		15.954		1.787		-40.106		Yes		9/5/25 14:14		RTK		32		0.98		0.51		0.84		8524		-1339		Yes		RTK		3D		1.4		769		1.388		0.672		0.669		3.085				WME		Water Meter

		UP5026		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5026		9/5/25 14:17		3730'37.6760"N		797'11.5388"W		1258.503		857154.075		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		25.69		100		0		13		11.935		-2.458		-50.268		Yes		9/5/25 14:17		RTK		31		0.99		0.51		0.84		8634		-1339		Yes		RTK		3D		1		769		0.472		0.366		0.394		1.195				WME		Water Meter

		UP5027		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5027		9/5/25 14:21		3730'37.3965"N		797'13.1267"W		130.898		857284.973		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		93.702		100		-6		9		8.626		1.404		45.435		Yes		9/5/25 14:21		RTK		32		1.03		0.53		0.89		8881		-1339		Yes		RTK		3D		0.6		769		1.512		0.672		0.787		3.309				WME		Water Meter

		UP5028		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5028		9/5/25 14:21		3730'37.4113"N		797'13.1305"W		1.533		857286.505		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		2		9		15.406		-4.565		-62.95		Yes		9/5/25 14:21		RTK		32		1.16		0.59		1		8885		-1339		Yes		RTK		3D		1.2		769		1.157		0.672		0.669		2.677				WME		Water Meter

		UP5029		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5029		9/5/25 14:23		3730'42.6911"N		797'15.3089"W		563.595		857850.101		0		UNKNOWN		118		65536		CLASSIC		OMNI PEAK		140		85.764		100		5		9		12.041		2.731		-18.473		Yes		9/5/25 14:23		RTK		32		1.16		0.61		0.98		9263		-1339		Yes		RTK		3D		0.8		769		0.759		0.394		0.394		1.709				WME		Water Meter

		UP5030		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5030		9/5/25 14:24		3730'43.6898"N		797'16.3308"W		130.489		857980.59		0		UNKNOWN		45		65536		CLASSIC		OMNI PEAK		140		100		100		-4		11		9.92		-0.264		-63.355		Yes		9/5/25 14:24		RTK		31		1.12		0.6		0.94		9334		-1339		Yes		RTK		3D		2		769		0.591		0.472		0.433		1.513				WME		Water Meter

		UP5031		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5031		9/5/25 14:26		3730'45.8507"N		797'18.7385"W		292.572		858273.162		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		34.707		100		-3		9		10.482		-2.937		-15.877		Yes		9/5/25 14:26		RTK		32		1.08		0.6		0.9		9515		-1339		Yes		RTK		3D		1.2		769		0.472		0.378		0.394		1.21				WME		Water Meter

		UP5032		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5032		9/5/25 14:28		3730'46.7986"N		797'19.9316"W		135.889		858409.051		0		UNKNOWN		22		65536		CLASSIC		OMNI PEAK		140		74.2		100		13		11		13.339		-6.034		12.395		Yes		9/5/25 14:28		RTK		32		1.07		0.6		0.88		9531		-1339		Yes		RTK		3D		1.2		769		1.913		0.948		0.787		4.27				WME		Water Meter

		UP5033		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5033		9/5/25 14:30		3730'47.5655"N		797'20.5807"W		93.714		858502.765		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		-1		9		14.174		-4.758		-88.733		Yes		9/5/25 14:30		RTK		32		1.08		0.61		0.9		9546		-1339		Yes		RTK		3D		1.6		769		0.759		0.433		0.472		1.747				WME		Water Meter

		UP5034		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5034		9/5/25 14:33		3730'51.1174"N		797'22.2577"W		384.779		858887.544		0		UNKNOWN		18		65536		CLASSIC		OMNI PEAK		140		100		100		1		4		10.716		0.625		-3.809		Yes		9/5/25 14:33		RTK		32		1.08		0.58		0.9		9553		-1339		Yes		RTK		3D		1.6		769		0.948		0.512		0.512		2.154				WME		Water Meter

		UP5035		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5035		9/5/25 14:37		3730'54.6883"N		797'23.1742"W		369.701		859257.245		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		100		100		-5		9		15.322		-1.858		-26.273		Yes		9/5/25 14:37		RTK		32		1.12		0.61		0.94		9589		-1339		Yes		RTK		3D		1.4		769		0.85		0.472		0.512		1.946				WME		Water Meter

		UP5036		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5036		9/5/25 14:38		3730'54.6961"N		797'23.1897"W		1.476		859258.721		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		53.445		100		0		12		8.938		-4.15		8.411		Yes		9/5/25 14:38		RTK		32		1.07		0.59		0.89		9587		-1339		Yes		RTK		3D		1.4		769		0.672		0.382		0.433		1.546				WME		Water Meter

		UP5037		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5037		9/5/25 14:39		3731'2.2757"N		797'22.0771"W		774.143		860032.864		0		UNKNOWN		238		65536		CLASSIC		OMNI PEAK		140		67.758		100		-8		7		9.11		1.459		60.886		Yes		9/5/25 14:39		RTK		32		1.33		0.69		1.14		9665		-1339		Yes		RTK		3D		0.8		769		1.64		0.759		0.787		3.615				WME		Water Meter

		UP5038		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5038		9/5/25 14:41		3731'3.1440"N		797'21.2588"W		109.982		860142.846		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		49.988		100		4		9		11.188		-0.711		65.982		Yes		9/5/25 14:41		RTK		31		1.26		0.65		1.08		9785		-1339		Yes		RTK		3D		0.6		769		1.388		0.85		0.787		3.256				WME		Water Meter

		UP5039		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5039		9/5/25 14:44		3731'4.8099"N		797'19.3730"W		227.128		860369.975		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		100		100		-7		9		16.264		-2.341		61.457		Yes		9/5/25 14:44		RTK		32		1.03		0.58		0.86		9883		-1339		Yes		RTK		3D		1.4		769		0.672		0.366		0.394		1.53				WME		Water Meter

		UP5040		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5040		9/5/25 14:44		3731'4.8086"N		797'19.3518"W		1.714		860371.689		0		UNKNOWN		598		65536		CLASSIC		OMNI PEAK		140		18.164		100		6		11		15.293		1.26		-16.3		Yes		9/5/25 14:44		RTK		32		0.99		0.54		0.83		9882		-1339		Yes		RTK		3D		0.6		769		0.591		0.433		0.433		1.465				WME		Water Meter

		UP5041		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5041		9/5/25 14:46		3731'5.6734"N		797'18.1381"W		131.28		860502.968		0		UNKNOWN		16		65536		CLASSIC		OMNI PEAK		140		100		100		-8		10		17.51		-1.221		-28.861		Yes		9/5/25 14:46		RTK		32		1.08		0.56		0.92		9948		-1339		Yes		RTK		3D		1		769		1.157		0.472		0.551		2.5				WME		Water Meter

		UP5042		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5042		9/5/25 14:49		3731'6.3130"N		797'17.2047"W		99.256		860602.225		0		UNKNOWN		53		65536		CLASSIC		OMNI PEAK		140		100		100		9		13		11.258		-4.247		89.619		Yes		9/5/25 14:49		RTK		31		0.97		0.54		0.81		9951		-1339		Yes		RTK		3D		1.2		769		0.759		0.394		0.472		1.709				WME		Water Meter

		UP5043		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5043		9/5/25 14:50		3731'6.7886"N		797'16.4205"W		79.438		860681.663		0		UNKNOWN		22		65536		CLASSIC		OMNI PEAK		140		95.49		100		-9		4		11.605		-0.258		87.03		Yes		9/5/25 14:50		RTK		31		1.03		0.57		0.86		9948		-1339		Yes		RTK		3D		0.6		769		1.913		0.591		0.709		4.005				WME		Water Meter

		UP5044		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5044		9/5/25 14:51		3731'7.4086"N		797'15.4519"W		100.153		860781.816		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		55.288		100		5		11		11.861		0.29		60.203		Yes		9/5/25 14:51		RTK		32		1.08		0.59		0.91		9915		-1339		Yes		RTK		3D		0.8		769		0.948		0.382		0.433		2.043				WME		Water Meter

		UP5045		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5045		9/5/25 14:53		3731'4.1972"N		797'12.6488"W		396.257		861178.073		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		100		100		1		11		10.719		-3.45		41.459		Yes		9/5/25 14:53		FLOAT RTK		31		1.06		0.58		0.9		9668		-1339		Yes		FLOAT RTK		3D		1.2		769		27.608		16.013		3.937		63.832				WME		Water Meter

		UP5046		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5046		9/5/25 14:55		3731'2.9557"N		797'12.2550"W		129.875		861307.949		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		100		98		-3		11		8.095		-0.583		-6.109		Yes		9/5/25 14:55		RTK		30		1.17		0.6		1		9653		-1339		Yes		RTK		3D		1		769		1.913		0.551		0.63		3.982				WME		Water Meter

		UP5047		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5047		9/5/25 14:56		3731'1.6120"N		797'11.8339"W		140.466		861448.415		0		UNKNOWN		306		65536		CLASSIC		OMNI PEAK		140		26.844		99		0		12		15.974		-2.848		43.522		Yes		9/5/25 14:56		RTK		29		1.2		0.62		1.03		9603		-1339		Yes		RTK		3D		0.8		769		0.85		0.362		0.433		1.849				WME		Water Meter

		UP5048		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5048		9/5/25 14:57		3731'1.9647"N		797'11.3136"W		55.075		861503.49		0		UNKNOWN		85		65536		CLASSIC		OMNI PEAK		140		58.95		98		-12		9		7.273		-0.174		70.243		Yes		9/5/25 14:57		RTK		29		1.17		0.6		1		9639		-1339		Yes		RTK		3D		0.8		769		0.948		0.512		0.512		2.154				WME		Water Meter

		UP5049		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5049		9/5/25 14:59		3730'58.3510"N		797'10.7684"W		369.227		861872.717		0		UNKNOWN		28		65536		CLASSIC		OMNI PEAK		140		100		100		0		12		11.246		-3.863		-20.235		Yes		9/5/25 14:59		RTK		31		1.2		0.61		1.03		9691		-1339		Yes		RTK		3D		0.6		769		1.774		1.05		0.945		4.123				WME		Water Meter

		UP5050		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5050		9/5/25 15:01		3730'57.1562"N		797'10.3987"W		124.803		861997.521		0		UNKNOWN		50		65536		CLASSIC		OMNI PEAK		140		100		99		13		4		13.288		-1.548		-82.223		Yes		9/5/25 15:01		RTK		32		1.19		0.62		1.02		9561		-1339		Yes		RTK		3D		1.2		769		0.472		0.339		0.394		1.162				WME		Water Meter

		UP5051		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5051		9/5/25 15:05		3730'55.0115"N		797'10.0895"W		218.999		862216.52		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		47.834		97		-18		11		9.475		0.986		-31.283		Yes		9/5/25 15:05		RTK		32		1.19		0.62		1.01		9503		-1339		Yes		RTK		3D		1.6		769		2.362		0.591		0.63		4.87				WME		Water Meter

		UP5052		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5052		9/5/25 15:05		3730'53.9436"N		797'9.5732"W		116.037		862332.557		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		100		98		1		10		19.498		4.226		17.135		Yes		9/5/25 15:05		RTK		32		1.15		0.58		1		9543		-1339		Yes		RTK		3D		1.2		769		1.05		0.472		0.512		2.303				WME		Water Meter

		UP5053		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5053		9/5/25 15:06		3730'53.7070"N		797'10.5114"W		79.218		862411.775		0		UNKNOWN		19		65536		CLASSIC		OMNI PEAK		140		100		98		-2		11		11.221		-3.516		-69.403		Yes		9/5/25 15:06		RTK		32		1.21		0.61		1.05		9454		-1339		Yes		RTK		3D		1		769		1.913		0.672		0.827		4.056				WME		Water Meter

		UP5054		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5054		9/5/25 15:09		3730'52.0551"N		797'10.7878"W		169.059		862580.834		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		89.575		98		6		13		8.026		2.126		-9.296		Yes		9/5/25 15:09		RTK		32		1.17		0.59		1.01		9256		-1339		Yes		RTK		3D		0.8		769		1.27		0.512		0.63		2.739				WME		Water Meter

		UP5055		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5055		9/5/25 15:10		3730'51.0448"N		797'10.7260"W		102.607		862683.441		0		UNKNOWN		32		65536		CLASSIC		OMNI PEAK		140		96.959		97		13		7		10.629		-1.315		-18.289		Yes		9/5/25 15:10		RTK		32		1.19		0.58		1.04		9140		-1339		Yes		RTK		3D		1.4		769		1.64		0.512		0.591		3.437				WME		Water Meter

		UP5056		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5056		9/5/25 15:13		3730'50.0452"N		797'10.4789"W		103.35		862786.791		0		UNKNOWN		2092		65536		CLASSIC		OMNI PEAK		140		52.41		97		-7		6		12.332		-1.24		-54.046		Yes		9/5/25 15:13		RTK		32		1.19		0.59		1.04		9067		-1339		Yes		RTK		3D		1		769		1.157		0.551		0.591		2.564				WME		Water Meter

		UP5057		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5057		9/5/25 15:14		3730'50.0452"N		797'10.4798"W		0.076		862786.867		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		97		-3		11		10.09		-0.693		-55.83		Yes		9/5/25 15:14		RTK		32		1.25		0.62		1.09		9062		-1339		Yes		RTK		3D		1.2		769		1.774		0.591		0.709		3.74				WME		Water Meter

		UP5058		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5058		9/5/25 15:15		3730'49.0617"N		797'10.2827"W		101.034		862887.901		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		100		97		3		8		17.776		-4.016		40.451		Yes		9/5/25 15:15		RTK		31		1.25		0.62		1.09		8989		-1339		Yes		RTK		3D		1.4		769		0.512		0.291		0.394		1.178				WME		Water Meter

		UP5059		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5059		9/5/25 15:17		3730'48.6103"N		797'10.0417"W		49.731		862937.632		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		21.568		96		-13		9		9.1		1.293		7.299		Yes		9/5/25 15:17		RTK		32		1.25		0.62		1.08		8954		-1339		Yes		RTK		3D		1.6		769		2.207		0.948		0.906		4.804				WME		Water Meter

		UP5060		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5060		9/8/25 7:10		3730'55.8910"N		797'9.5454"W		739.713		863677.345		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		6.703		100		-20		4		11.533		-2.787		-38.595		Yes		9/8/25 7:10		RTK		32		1		0.49		0.87		9550		-1339		Yes		RTK		3D		1.4		3739		0.672		0.591		0.551		1.789				WME		Water Meter

		UP5061		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5061		9/8/25 7:11		3730'57.1319"N		797'9.7636"W		127.102		863804.447		0		UNKNOWN		210		65536		CLASSIC		OMNI PEAK		140		7.248		100		-46		8		12.253		-0.059		16.129		Yes		9/8/25 7:11		RTK		32		0.99		0.49		0.87		9568		-1339		Yes		RTK		3D		1.2		3739		0.672		0.512		0.512		1.689				WME		Water Meter

		UP5062		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5062		9/8/25 7:12		3730'57.3548"N		797'9.8566"W		23.824		863828.272		0		UNKNOWN		32		65536		CLASSIC		OMNI PEAK		140		41.821		100		-17		8		14.679		2.275		11.529		Yes		9/8/25 7:12		RTK		32		0.98		0.48		0.85		9583		-1339		Yes		RTK		3D		1.4		3739		0.433		0.354		0.394		1.119				WME		Water Meter

		UP5063		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5063		9/8/25 7:13		3730'59.5106"N		797'10.4897"W		224.559		864052.831		0		UNKNOWN		30		65536		CLASSIC		OMNI PEAK		140		44.492		100		16		4		10.436		0.632		73.717		Yes		9/8/25 7:13		RTK		32		0.97		0.48		0.84		9679		-1339		Yes		RTK		3D		1.2		3739		0.672		0.472		0.472		1.643				WME		Water Meter

		UP5064		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5064		9/8/25 7:15		3731'0.9787"N		797'11.0217"W		154.967		864207.798		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		4.121		100		-41		9		12.578		0.851		68.921		Yes		9/8/25 7:15		RTK		31		0.99		0.5		0.85		9624		-1339		Yes		RTK		3D		0.6		3739		1.05		0.591		0.551		2.409				WME		Water Meter

		UP5065		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5065		9/8/25 7:16		3731'3.0418"N		797'11.6785"W		215.874		864423.672		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		8.109		100		24		6		12.058		-0.084		58.186		Yes		9/8/25 7:16		RTK		32		0.92		0.47		0.8		9672		-1339		Yes		RTK		3D		0.6		3739		0.672		0.433		0.433		1.599				WME		Water Meter

		UP5066		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5066		9/8/25 7:18		3731'5.5920"N		797'12.5245"W		267.523		864691.195		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		100		100		2		10		11.492		2.679		-3.008		Yes		9/8/25 7:18		RTK		32		0.92		0.47		0.79		9729		-1339		Yes		RTK		3D		1.4		3739		0.948		0.551		0.512		2.192				WME		Water Meter

		UP5067		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5067		9/8/25 7:19		3731'6.6833"N		797'13.0401"W		118.234		864809.428		0		UNKNOWN		44		65536		CLASSIC		OMNI PEAK		140		100		100		15		10		11.89		-1.618		-47.192		Yes		9/8/25 7:19		RTK		32		0.92		0.47		0.79		9759		-1339		Yes		RTK		3D		0.8		3739		0.472		0.394		0.394		1.23				WME		Water Meter

		UP5068		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5068		9/8/25 7:22		3731'8.5849"N		797'13.4232"W		195.365		865004.794		0		UNKNOWN		48		65536		CLASSIC		OMNI PEAK		140		80.465		100		-57		7		10.197		0.834		2.967		Yes		9/8/25 7:22		RTK		32		0.98		0.49		0.85		9801		-1339		Yes		RTK		3D		0.6		3739		1.05		0.672		0.591		2.493				WME		Water Meter

		UP5069		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5069		9/8/25 7:24		3731'9.3317"N		797'12.2686"W		119.884		865124.677		0		UNKNOWN		27		65536		CLASSIC		OMNI PEAK		140		92.846		100		2		9		11.333		0.058		-60.763		Yes		9/8/25 7:24		RTK		31		0.97		0.49		0.84		9765		-1339		Yes		RTK		3D		1.4		3739		0.672		0.433		0.433		1.599				WME		Water Meter

		UP5070		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5070		9/8/25 7:25		3731'10.0242"N		797'11.2455"W		108.221		865232.898		0		UNKNOWN		131		65536		CLASSIC		OMNI PEAK		140		60.782		100		0		4		13.791		1.672		16.648		Yes		9/8/25 7:25		RTK		32		0.99		0.5		0.85		9737		-1339		Yes		RTK		3D		1.6		3739		0.512		0.394		0.433		1.291				WME		Water Meter

		UP5071		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5071		9/8/25 7:26		3731'10.2750"N		797'10.6699"W		52.846		865285.744		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		100		100		-27		11		9.653		-0.356		-65.729		Yes		9/8/25 7:26		RTK		32		0.99		0.5		0.85		9704		-1339		Yes		RTK		3D		1.4		3739		0.394		0.291		0.394		0.98				WME		Water Meter

		UP5072		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5072		9/8/25 7:27		3731'11.1434"N		797'9.3284"W		139.331		865425.075		0		UNKNOWN		135		65536		CLASSIC		OMNI PEAK		140		36.358		100		-6		6		9.817		-0.562		51.983		Yes		9/8/25 7:27		RTK		32		1		0.51		0.86		9751		-1339		Yes		RTK		3D		1		3739		1.388		0.672		0.748		3.085				WME		Water Meter

		UP5073		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5073		9/8/25 7:28		3731'11.8942"N		797'8.0426"W		128.474		865553.549		0		UNKNOWN		1398		65536		CLASSIC		OMNI PEAK		140		31.059		100		-21		8		4.013		-0.418		-77.484		Yes		9/8/25 7:28		RTK		32		0.98		0.5		0.84		9739		-1339		Yes		RTK		3D		1.2		3739		0.759		0.472		0.472		1.787				WME		Water Meter

		UP5074		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5074		9/8/25 7:29		3731'12.9182"N		797'6.4125"W		167.326		865720.875		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		100		-3		11		9.012		-1.369		30.82		Yes		9/8/25 7:29		RTK		32		0.97		0.5		0.84		9712		-1339		Yes		RTK		3D		0.8		3739		0.948		0.591		0.591		2.233				WME		Water Meter

		UP5075		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5075		9/8/25 7:31		3731'14.2819"N		797'4.6900"W		195.833		865916.708		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		61.922		100		-7		9		12.28		-1.231		11.528		Yes		9/8/25 7:32		RTK		32		0.97		0.5		0.83		9615		-1339		Yes		RTK		3D		1		3739		0.85		0.512		0.551		1.985				WME		Water Meter

		UP5076		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5076		9/8/25 7:32		3731'14.2940"N		797'4.6746"W		1.738		865918.446		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		10.679		100		0		12		10.43		-0.067		56.287		Yes		9/8/25 7:32		RTK		32		0.97		0.51		0.83		9615		-1339		Yes		RTK		3D		1.4		3739		1.388		0.85		0.787		3.256				WME		Water Meter

		UP5077		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5077		9/8/25 7:32		3731'14.3044"N		797'4.6619"W		1.471		865919.917		0		UNKNOWN		17		65536		CLASSIC		OMNI PEAK		140		100		100		2		11		10.196		0.528		-38.237		Yes		9/8/25 7:32		RTK		32		0.97		0.5		0.83		9614		-1339		Yes		RTK		3D		0.6		3739		0.433		0.394		0.394		1.171				WME		Water Meter

		UP5078		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5078		9/8/25 7:33		3731'15.6804"N		797'3.3053"W		177.208		866097.125		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		0		12		11.002		-0.226		16.601		Yes		9/8/25 7:33		RTK		32		0.99		0.51		0.85		9478		-1339		Yes		RTK		3D		1.2		3739		0.591		0.433		0.472		1.465				WME		Water Meter

		UP5079		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5079		9/8/25 7:42		3731'19.6005"N		796'55.5241"W		741.726		866838.851		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		1		5		15.229		-1.41		-24.934		Yes		9/8/25 7:42		RTK		31		1.01		0.53		0.86		9674		-1339		Yes		RTK		3D		1		3739		0.759		0.512		0.551		1.83				WME		Water Meter

		UP5080		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5080		9/8/25 7:45		3731'24.9632"N		796'50.9226"W		658.075		867496.926		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		21.311		100		0		10		13.195		-0.173		-3.076		Yes		9/8/25 7:45		RTK		32		1.02		0.55		0.86		9588		-1339		Yes		RTK		3D		1.2		3739		2.362		0.85		0.709		5.021				WME		Water Meter

		UP5081		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5081		9/8/25 7:46		3731'25.6373"N		796'50.0671"W		97.034		867593.96		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		3		13		8.734		1.197		-81.528		Yes		9/8/25 7:46		RTK		31		1.03		0.55		0.87		9669		-1339		Yes		RTK		3D		0.4		3739		0.472		0.331		0.394		1.153				WME		Water Meter

		UP5082		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5082		9/8/25 7:49		3731'27.8985"N		796'46.8269"W		347.26		867941.22		0		UNKNOWN		18		65536		CLASSIC		OMNI PEAK		140		100		100		-6		11		11.153		3.201		-31.21		Yes		9/8/25 7:49		RTK		32		1.03		0.53		0.89		9655		-1339		Yes		RTK		3D		0.8		3739		0.948		0.591		0.591		2.233				WME		Water Meter

		UP5083		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5083		9/8/25 7:51		3731'28.4141"N		796'45.8737"W		92.832		868034.052		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		84.143		100		-1		11		12.622		-0.172		71.998		Yes		9/8/25 7:52		RTK		32		1		0.51		0.86		9690		-1339		Yes		RTK		3D		0.8		3739		0.394		0.343		0.394		1.044				WME		Water Meter

		UP5084		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5084		9/8/25 7:55		3731'30.1718"N		796'43.3739"W		268.803		868302.855		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		3		7		16.157		-2.511		-19.698		Yes		9/8/25 7:55		RTK		32		0.99		0.51		0.84		9645		-1339		Yes		RTK		3D		1.2		3739		0.366		0.319		0.394		0.971				WME		Water Meter

		UP5085		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5085		9/8/25 7:56		3731'31.5979"N		796'41.0137"W		238.731		868541.586		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		67.588		100		1		11		13.929		-4.182		63.038		Yes		9/8/25 7:56		RTK		32		1.08		0.53		0.94		9702		-1339		Yes		RTK		3D		1		3739		0.472		0.386		0.394		1.22				WME		Water Meter

		UP5086		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5086		9/8/25 7:57		3731'32.0687"N		796'40.3818"W		69.757		868611.343		0		UNKNOWN		53		65536		CLASSIC		OMNI PEAK		140		73.329		100		0		10		13.487		0.883		-44.333		Yes		9/8/25 7:57		RTK		32		1.07		0.53		0.93		9778		-1339		Yes		RTK		3D		1		3739		0.433		0.394		0.394		1.171				WME		Water Meter

		UP5087		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5087		9/8/25 7:59		3731'36.3314"N		796'32.1961"W		787.89		869399.234		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		0		12		14.979		-2.829		6.89		Yes		9/8/25 7:59		RTK		32		1.05		0.52		0.91		10139		-1339		Yes		RTK		3D		0.6		3739		0.382		0.335		0.394		1.016				WME		Water Meter

		UP5088		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5088		9/8/25 7:59		3731'36.4184"N		796'31.9834"W		19.258		869418.491		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		100		100		-1		8		14.738		-1.95		3.351		Yes		9/8/25 7:59		RTK		32		1.05		0.52		0.91		10146		-1339		Yes		RTK		3D		1		3739		0.551		0.472		0.433		1.452				WME		Water Meter

		UP5089		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5089		9/8/25 8:01		3731'37.6381"N		796'29.6304"W		226.17		869644.661		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		100		100		86		12		14.243		-0.069		79.085		Yes		9/8/25 8:01		RTK		32		1.04		0.52		0.91		10289		-1339		Yes		RTK		3D		1.4		3739		0.394		0.339		0.394		1.039				WME		Water Meter

		UP5090		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5090		9/8/25 8:03		3731'42.1800"N		796'20.8937"W		840.483		870485.143		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		0		8		15.512		-1.612		4.071		Yes		9/8/25 8:03		RTK		32		1.04		0.53		0.9		10623		-1339		Yes		RTK		3D		0.6		3739		0.37		0.343		0.394		1.009				WME		Water Meter

		UP5091		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5091		9/8/25 8:04		3731'42.9803"N		796'19.6030"W		131.814		870616.958		0		UNKNOWN		77		65536		CLASSIC		OMNI PEAK		140		56.487		100		7		6		8.412		-1.411		-68.98		Yes		9/8/25 8:04		RTK		32		1.06		0.54		0.91		10666		-1339		Yes		RTK		3D		1.2		3739		0.394		0.394		0.394		1.114				WME		Water Meter

		UP5092		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5092		9/8/25 8:06		3731'44.2204"N		796'17.0247"W		242.602		870859.56		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.979		100		1		8		10.289		2.556		-88.686		Yes		9/8/25 8:06		RTK		32		1.05		0.55		0.89		10690		-1339		Yes		RTK		3D		1.2		3739		0.472		0.386		0.394		1.22				WME		Water Meter

		UP5093		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5093		9/8/25 8:09		3731'51.3074"N		796'3.0611"W		1333.801		872193.361		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		-14		9		10.191		0.129		15.117		Yes		9/8/25 8:09		RTK		32		1.01		0.52		0.87		10730		-1339		Yes		RTK		3D		0.8		3739		0.433		0.378		0.394		1.15				WME		Water Meter

		UP5094		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5094		9/8/25 8:09		3731'51.2950"N		796'3.1045"W		3.712		872197.073		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		100		100		1		10		12.043		0.404		-51.486		Yes		9/8/25 8:09		RTK		32		1.01		0.52		0.87		10730		-1339		Yes		RTK		3D		0.4		3739		0.433		0.394		0.394		1.171				WME		Water Meter

		UP5095		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5095		9/8/25 8:13		3732'0.1872"N		795'56.4766"W		1047.917		873244.99		0		UNKNOWN		456		65536		CLASSIC		OMNI PEAK		140		100		100		-37		10		10.434		-0.874		-40.605		Yes		9/8/25 8:13		RTK		31		1.14		0.58		0.98		10836		-1339		Yes		RTK		3D		0.8		3739		1.05		0.551		0.512		2.372				WME		Water Meter

		UP5096		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5096		9/8/25 8:23		3731'53.4140"N		795'53.4061"W		730.193		873975.183		0		UNKNOWN		19		65536		CLASSIC		OMNI PEAK		140		100		100		-39		9		13.597		-1.935		-15.841		Yes		9/8/25 8:23		RTK		32		1.08		0.54		0.94		10644		-1339		Yes		RTK		3D		1.2		3739		0.512		0.433		0.394		1.341				WME		Water Meter

		UP5097		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5097		9/8/25 8:24		3731'53.1944"N		795'53.0664"W		35.257		874010.441		0		UNKNOWN		33		65536		CLASSIC		OMNI PEAK		140		100		100		-7		12		14.215		0.795		14.576		Yes		9/8/25 8:24		RTK		32		0.97		0.51		0.82		10667		-1339		Yes		RTK		3D		0.8		3739		0.591		0.551		0.512		1.616				WME		Water Meter

		UP5098		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5098		9/8/25 8:25		3731'54.4259"N		795'52.6963"W		128.443		874138.884		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		29.881		100		4		11		12.933		-1.41		69.401		Yes		9/8/25 8:25		RTK		32		0.96		0.51		0.82		10700		-1339		Yes		RTK		3D		1.2		3739		0.512		0.433		0.394		1.341				WME		Water Meter

		UP5099		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5099		9/8/25 8:27		3731'56.4292"N		795'51.6852"W		218.907		874357.79		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		4.687		100		6		5		12.644		-0.783		-52.301		Yes		9/8/25 8:27		RTK		32		0.96		0.51		0.81		10830		-1339		Yes		RTK		3D		0.6		3739		2.858		1.27		0.866		6.256				WME		Water Meter

		UP5100		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5100		9/8/25 8:28		3731'57.7466"N		795'47.4511"W		365.913		874723.704		0		UNKNOWN		55		65536		CLASSIC		OMNI PEAK		140		80.578		100		1		11		15.343		-2.901		5.774		Yes		9/8/25 8:29		RTK		32		0.99		0.52		0.85		10864		-1339		Yes		RTK		3D		0.8		3739		0.551		0.433		0.394		1.402				WME		Water Meter

		UP5101		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5101		9/8/25 8:31		3731'56.7040"N		795'44.8260"W		236.202		874959.906		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		72.361		100		-2		12		10.734		-0.207		-14.609		Yes		9/8/25 8:31		RTK		32		0.99		0.53		0.84		10907		-1339		Yes		RTK		3D		0.6		3739		0.512		0.433		0.394		1.341				WME		Water Meter

		UP5102		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5102		9/8/25 8:36		3731'54.4481"N		795'40.3944"W		423.666		875383.572		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		58.599		100		1		13		7.019		1.214		16.335		Yes		9/8/25 8:36		RTK		32		1.09		0.58		0.93		11018		-1339		Yes		RTK		3D		0.6		3739		0.85		0.591		0.512		2.071				WME		Water Meter

		UP5103		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5103		9/8/25 8:40		3731'26.2369"N		795'9.9677"W		0		875383.572		0		UNKNOWN		155		65536		CLASSIC		OMNI PEAK		140		96.631		100		3		12		7.294		0.252		-18.147		Yes		9/8/25 8:40		RTK		32		1.03		0.54		0.88		11171		-1340		Yes		RTK		3D		1		3739		0.512		0.472		0.394		1.393				WME		Water Meter

		UP5104		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5104		9/8/25 8:44		3731'19.5009"N		795'5.1350"W		786.25		876169.822		0		UNKNOWN		21		65536		CLASSIC		OMNI PEAK		140		100		100		-8		12		7.713		-1.225		17.447		Yes		9/8/25 8:44		RTK		31		1.01		0.54		0.85		11094		-1340		Yes		RTK		3D		0.8		3739		0.551		0.472		0.433		1.452				WME		Water Meter

		UP5105		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5105		9/8/25 8:45		3731'19.4604"N		795'5.1248"W		4.192		876174.013		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		100		100		1		12		13.271		0.698		-78.158		Yes		9/8/25 8:45		RTK		31		1.01		0.54		0.85		11091		-1340		Yes		RTK		3D		1.2		3739		0.433		0.394		0.394		1.171				WME		Water Meter

		UP5106		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5106		9/8/25 8:46		3731'18.2929"N		795'4.2557"W		137.546		876311.56		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		5.419		100		0		12		9.966		-1.04		-24.192		Yes		9/8/25 8:46		RTK		32		1.06		0.55		0.9		11075		-1340		Yes		RTK		3D		0.4		3739		0.591		0.512		0.433		1.563				WME		Water Meter

		UP5107		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5107		9/8/25 8:48		3731'14.9434"N		794'58.1289"W		598.747		876910.306		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		100		100		6		9		11.128		1.247		9.525		Yes		9/8/25 8:48		RTK		32		0.99		0.53		0.83		11252		-1340		Yes		RTK		3D		0.6		3739		0.672		0.551		0.472		1.738				WME		Water Meter

		UP5108		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5108		9/8/25 8:51		3731'43.5575"N		795'27.2257"W		0		876910.306		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		100		-1		10		14.633		-0.109		-56.755		Yes		9/8/25 8:51		RTK		32		1.03		0.55		0.88		10522		-1340		Yes		RTK		3D		1		3739		1.64		1.157		0.709		4.015				WME		Water Meter

		UP5109		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5109		9/8/25 8:53		3731'48.8470"N		795'26.8536"W		537.46		877447.766		0		UNKNOWN		160		65536		CLASSIC		OMNI PEAK		140		21.937		100		1		13		14.892		-1.069		23.479		Yes		9/8/25 8:53		RTK		32		1.02		0.55		0.87		10775		-1340		Yes		RTK		3D		0.6		3739		0.551		0.433		0.394		1.402				WME		Water Meter

		UP5110		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5110		9/8/25 8:56		3731'51.5732"N		795'27.7388"W		285.59		877733.356		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		27.171		100		-4		9		14.599		-0.55		-7.161		Yes		9/8/25 8:56		RTK		32		0.97		0.53		0.81		10965		-1340		Yes		RTK		3D		0.8		3739		0.591		0.551		0.433		1.616				WME		Water Meter

		UP5111		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5111		9/8/25 8:58		3731'56.0338"N		795'26.1143"W		471.026		878204.382		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		14.527		100		-4		11		11.784		-0.884		-39.155		Yes		9/8/25 8:58		RTK		32		1		0.55		0.84		11035		-1340		Yes		RTK		3D		1.2		3739		0.591		0.472		0.433		1.513				WME		Water Meter

		UP5112		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5112		9/8/25 9:01		3731'45.0334"N		795'30.5206"W		1170.947		879375.329		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		29.254		100		0		10		8.75		1.725		24.564		Yes		9/8/25 9:01		RTK		32		0.95		0.53		0.78		10724		-1339		Yes		RTK		3D		1		3739		1.05		0.948		0.591		2.828				WME		Water Meter

		UP5113		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5113		9/8/25 9:03		3731'43.9148"N		795'29.9630"W		122.029		879497.358		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		68.714		100		-9		9		9.688		1.991		54.899		Yes		9/8/25 9:03		RTK		31		1.03		0.56		0.86		10650		-1339		Yes		RTK		3D		0.8		3739		1.05		0.85		0.591		2.702				WME		Water Meter

		UP5114		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5114		9/8/25 9:04		3731'43.9141"N		795'29.9623"W		0.086		879497.444		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		13.694		100		20		8		9.562		-0.564		-81.514		Yes		9/8/25 9:04		RTK		31		0.95		0.54		0.78		10650		-1339		Yes		RTK		3D		0.6		3739		1.913		1.388		0.748		4.728				WME		Water Meter

		UP5115		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5115		9/8/25 9:05		3731'43.1424"N		795'29.0248"W		108.715		879606.159		0		UNKNOWN		74		65536		CLASSIC		OMNI PEAK		140		68.38		100		1		7		12.999		-0.15		-34.341		Yes		9/8/25 9:05		RTK		31		0.93		0.53		0.77		10580		-1339		Yes		RTK		3D		0.8		3739		0.672		0.512		0.472		1.689				WME		Water Meter

		UP5116		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5116		9/8/25 9:06		3731'42.9739"N		795'28.8144"W		24.053		879630.212		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		40.099		100		0		13		12.3		2.601		-31.873		Yes		9/8/25 9:06		RTK		31		0.93		0.53		0.76		10569		-1339		Yes		RTK		3D		0.4		3739		1.05		0.759		0.512		2.59				WME		Water Meter

		UP5117		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5117		9/8/25 9:10		3731'45.6047"N		795'32.0715"W		374.031		880004.243		0		UNKNOWN		4214		65536		CLASSIC		OMNI PEAK		140		56.368		100		19		9		12.766		2.036		-44.266		Yes		9/8/25 9:10		RTK		32		0.95		0.55		0.77		10843		-1339		Yes		RTK		3D		1.4		3739		0.472		0.378		0.394		1.21				WME		Water Meter

		UP5118		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5118		9/8/25 9:11		3731'45.9251"N		795'32.4440"W		44.217		880048.46		0		UNKNOWN		10		65536		CLASSIC		OMNI PEAK		140		100		100		25		9		12.884		2.215		-27.466		Yes		9/8/25 9:11		RTK		32		0.91		0.53		0.74		10867		-1339		Yes		RTK		3D		1.2		3739		0.759		0.591		0.472		1.923				WME		Water Meter

		UP5119		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5119		9/8/25 9:15		3731'59.6804"N		795'57.4100"W		2445.758		882494.217		0		UNKNOWN		24		65536		CLASSIC		OMNI PEAK		140		100		100		1		10		9.894		-0.849		-25.287		Yes		9/8/25 9:15		RTK		31		1		0.58		0.82		10915		-1339		Yes		RTK		3D		0.6		3739		1.512		0.948		0.709		3.568				WME		Water Meter

		UP5120		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5120		9/8/25 9:20		3731'58.1160"N		796'1.3180"W		352.186		882846.403		0		UNKNOWN		26		65536		CLASSIC		OMNI PEAK		140		100		100		4		8		21.13		-1.911		15.903		Yes		9/8/25 9:20		FLOAT RTK		31		1.03		0.6		0.83		10747		-1339		Yes		FLOAT RTK		3D		1.2		3739		5.338		4.601		0.906		14.094				WME		Water Meter

		UP5121		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5121		9/8/25 9:20		3731'58.0999"N		796'1.3223"W		1.663		882848.067		0		UNKNOWN		15		65536		CLASSIC		OMNI PEAK		140		100		100		3		9		17.073		1.111		10.891		Yes		9/8/25 9:20		RTK		31		1.03		0.6		0.83		10737		-1339		Yes		RTK		3D		1.4		3739		1.64		1.27		0.906		4.15				WME		Water Meter

		UP5122		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5122		9/8/25 9:21		3731'57.6206"N		796'1.7742"W		60.717		882908.784		0		UNKNOWN		180		65536		CLASSIC		OMNI PEAK		140		79.345		100		4		8		7.95		-1.529		-3.787		Yes		9/8/25 9:21		RTK		32		1.09		0.62		0.9		10729		-1339		Yes		RTK		3D		0.6		3739		0.672		0.512		0.551		1.689				WME		Water Meter

		UP5123		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5123		9/8/25 9:22		3731'57.6186"N		796'1.8301"W		4.5		882913.284		0		UNKNOWN		105		65536		CLASSIC		OMNI PEAK		140		71.914		100		0		12		10.013		-1.344		-36.234		Yes		9/8/25 9:22		RTK		32		1.09		0.63		0.89		10725		-1339		Yes		RTK		3D		1		3739		0.591		0.551		0.512		1.616				WME		Water Meter

		UP5124		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5124		9/8/25 9:22		3731'57.6074"N		796'1.8573"W		2.467		882915.751		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		28.767		100		10		10		6.897		-1.191		13.311		Yes		9/8/25 9:22		RTK		32		1.08		0.61		0.88		10725		-1339		Yes		RTK		3D		0.8		3739		1.512		1.388		0.787		4.105				WME		Water Meter

		UP5125		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5125		9/8/25 9:23		3731'56.9605"N		796'2.3168"W		75.32		882991.071		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		47.214		100		-2		11		10.761		0.382		14.779		Yes		9/8/25 9:23		RTK		32		1.04		0.61		0.85		10709		-1339		Yes		RTK		3D		1		3739		1.388		0.672		0.591		3.085				WME		Water Meter

		UP5126		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5126		9/8/25 9:24		3731'56.1548"N		796'2.6354"W		85.669		883076.739		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		4.547		100		1		13		11.866		1.287		66.57		Yes		9/8/25 9:24		RTK		32		0.97		0.58		0.78		10708		-1339		Yes		RTK		3D		0.6		3739		1.05		0.85		0.669		2.702				WME		Water Meter

		UP5127		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5127		9/8/25 9:26		3731'53.3434"N		796'5.2423"W		354.023		883430.763		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		100		100		-2		10		14.695		-1.059		55.236		Yes		9/8/25 9:26		RTK		32		0.9		0.56		0.71		10701		-1339		Yes		RTK		3D		1		3739		0.672		0.512		0.394		1.689				WME		Water Meter

		UP5128		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5128		9/8/25 9:29		3731'49.0906"N		796'11.3374"W		653.149		884083.912		0		UNKNOWN		30		65536		CLASSIC		OMNI PEAK		140		100		100		-9		7		9.616		-1.526		6.395		Yes		9/8/25 9:29		RTK		32		0.99		0.59		0.79		10689		-1339		Yes		RTK		3D		1.2		3739		0.85		0.672		0.512		2.168				WME		Water Meter

		UP5129		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5129		9/8/25 9:29		3731'49.0810"N		796'11.3526"W		1.563		884085.475		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		33.481		100		140		10		10.343		-2.244		58.9		Yes		9/8/25 9:29		RTK		31		1.06		0.62		0.86		10687		-1339		Yes		RTK		3D		0.8		3739		0.551		0.512		0.472		1.504				WME		Water Meter

		UP5130		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5130		9/8/25 9:29		3731'49.0736"N		796'11.3616"W		1.042		884086.517		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		21		8		15.133		-1.479		-2.895		Yes		9/8/25 9:29		RTK		32		0.99		0.59		0.79		10686		-1339		Yes		RTK		3D		0.6		3739		1.05		0.672		0.591		2.493				WME		Water Meter

		UP5131		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5131		9/8/25 9:29		3731'49.0659"N		796'11.3782"W		1.55		884088.067		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		14.623		100		32		9		9.964		0.704		0.654		Yes		9/8/25 9:29		RTK		32		0.99		0.59		0.79		10688		-1339		Yes		RTK		3D		1.2		3739		0.672		0.672		0.472		1.9				WME		Water Meter

		UP5132		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5132		9/8/25 9:31		3731'48.2162"N		796'13.5998"W		198.435		884286.502		0		UNKNOWN		27		65536		CLASSIC		OMNI PEAK		140		78.375		100		-3		9		11.005		0.971		65.891		Yes		9/8/25 9:31		FLOAT RTK		30		1.04		0.62		0.84		10698		-1339		Yes		FLOAT RTK		3D		0.6		3739		4.785		3.313		0.63		11.641				WME		Water Meter

		UP5133		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5133		9/8/25 9:32		3731'47.7960"N		796'14.1177"W		59.612		884346.114		0		UNKNOWN		1200		65536		CLASSIC		OMNI PEAK		140		100		100		-11		10		7.86		-0.241		-8.255		Yes		9/8/25 9:32		RTK		30		1.12		0.65		0.91		10681		-1339		Yes		RTK		3D		1.4		3739		1.27		1.157		0.748		3.437				WME		Water Meter

		UP5134		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5134		9/8/25 9:33		3731'47.7470"N		796'14.1843"W		7.304		884353.418		0		UNKNOWN		34		65536		CLASSIC		OMNI PEAK		140		83.286		100		1		11		10.667		2.811		-50.348		Yes		9/8/25 9:33		RTK		30		1.06		0.63		0.86		10667		-1339		Yes		RTK		3D		0.8		3739		1.157		0.672		0.669		2.677				WME		Water Meter

		UP5135		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5135		9/8/25 9:33		3731'47.6542"N		796'14.2531"W		10.923		884364.341		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		48.572		100		3		8		17.603		2.48		17.262		Yes		9/8/25 9:33		RTK		30		1.02		0.61		0.81		10671		-1339		Yes		RTK		3D		0.6		3739		0.551		0.472		0.472		1.452				WME		Water Meter

		UP5136		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5136		9/8/25 9:33		3731'47.6414"N		796'14.2865"W		2.986		884367.327		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		140		94.36		100		-1		9		14.798		-0.157		-17.358		Yes		9/8/25 9:33		RTK		30		1.16		0.67		0.95		10684		-1339		Yes		RTK		3D		1		3739		1.774		1.512		0.984		4.662				WME		Water Meter

		UP5137		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5137		9/8/25 9:34		3731'47.4876"N		796'14.8567"W		48.453		884415.78		0		UNKNOWN		69		65536		CLASSIC		OMNI PEAK		140		66.571		100		-1		10		9.694		1.557		-36.533		Yes		9/8/25 9:34		RTK		31		1.07		0.64		0.86		10649		-1339		Yes		RTK		3D		1		3739		1.05		0.85		0.669		2.702				WME		Water Meter

		UP5138		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5138		9/8/25 9:38		3731'43.9337"N		796'22.1724"W		690.238		885106.018		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		100		100		0		12		9.548		2.911		-69.982		Yes		9/8/25 9:38		RTK		31		1.15		0.67		0.93		10486		-1339		Yes		RTK		3D		1.2		3739		0.85		0.512		0.591		1.985				WME		Water Meter

		UP5139		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5139		9/8/25 9:39		3731'43.5899"N		796'22.3190"W		36.815		885142.833		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		35.822		100		0		10		8.884		-2.364		8.832		Yes		9/8/25 9:39		RTK		31		1.14		0.67		0.93		10477		-1339		Yes		RTK		3D		1.2		3739		2.207		1.913		0.945		5.842				WME		Water Meter

		UP5140		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5140		9/8/25 9:40		3731'43.1269"N		796'23.0778"W		77.029		885219.863		0		UNKNOWN		18		65536		CLASSIC		OMNI PEAK		140		100		100		1		12		7.858		-2.134		-0.513		Yes		9/8/25 9:40		RTK		31		1.14		0.67		0.92		10451		-1339		Yes		RTK		3D		1.2		3739		1.774		1.512		0.906		4.662				WME		Water Meter

		UP5141		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5141		9/8/25 9:43		3731'41.0801"N		796'27.0514"W		381.218		885601.08		0		UNKNOWN		24		65536		CLASSIC		OMNI PEAK		140		100		100		91		10		8.946		2.459		-19.608		Yes		9/8/25 9:43		RTK		31		1.14		0.67		0.92		10336		-1339		Yes		RTK		3D		1.2		3739		0.948		0.85		0.591		2.546				WME		Water Meter

		UP5142		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5142		9/8/25 9:44		3731'40.4832"N		796'28.1720"W		108.606		885709.686		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		76.604		100		0		11		9.368		2.489		-12.551		Yes		9/8/25 9:44		RTK		29		1.11		0.66		0.89		10298		-1339		Yes		RTK		3D		0.4		3739		1.388		0.759		0.709		3.164				WME		Water Meter

		UP5143		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5143		9/8/25 9:49		3731'10.6710"N		797'12.0477"W		0		885709.686		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		-2		13		17.356		1.35		-16.5		Yes		9/8/25 9:49		RTK		29		1.2		0.69		0.98		9867		-1339		Yes		RTK		3D		0.8		3739		1.27		1.05		0.669		3.296				WME		Water Meter

		UP5144		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5144		9/8/25 9:51		3731'29.6823"N		797'18.0436"W		1988.13		887697.817		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		32.181		100		-1		9		11.443		5.634		-16.723		Yes		9/8/25 9:51		RTK		30		1.2		0.69		0.98		9203		-1339		Yes		RTK		3D		1.4		3739		0.759		0.551		0.551		1.875				WME		Water Meter

		UP5145		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5145		9/8/25 9:53		3731'29.4309"N		797'18.9441"W		76.814		887774.631		0		UNKNOWN		483		65536		CLASSIC		OMNI PEAK		140		77.483		100		-5		6		18.904		-1.094		81.027		Yes		9/8/25 9:53		FLOAT RTK		29		1.19		0.69		0.97		9229		-1339		Yes		FLOAT RTK		3D		1		3739		4.785		3.497		0.906		11.854				WME		Water Meter

		UP5146		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5146		9/8/25 9:56		3731'35.5866"N		797'18.5999"W		625.119		888399.75		0		UNKNOWN		25		65536		CLASSIC		OMNI PEAK		140		38.965		100		-8		8		10.765		0.21		81.513		Yes		9/8/25 9:56		RTK		30		1.14		0.66		0.92		9658		-1339		Yes		RTK		3D		1.2		3739		1.157		0.759		0.63		2.768				WME		Water Meter

		UP5147		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5147		9/8/25 9:57		3731'35.8639"N		797'18.2168"W		41.731		888441.481		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		35.31		100		8		11		11.623		1.521		-3.126		Yes		9/8/25 9:57		RTK		31		1.25		0.72		1.03		9688		-1339		Yes		RTK		3D		0.4		3739		2.207		1.512		0.906		5.351				WME		Water Meter

		UP5148		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5148		9/8/25 10:00		3731'37.2706"N		797'15.0888"W		289.315		888730.796		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		21.667		100		6		10		8.306		-0.636		-34.633		Yes		9/8/25 10:00		RTK		32		1.02		0.62		0.8		9881		-1339		Yes		RTK		3D		1.2		3739		0.551		0.551		0.512		1.559				WME		Water Meter

		UP5149		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5149		9/8/25 10:01		3731'35.9464"N		797'14.1774"W		153.051		888883.847		0		UNKNOWN		42		65536		CLASSIC		OMNI PEAK		140		100		100		0		9		12.949		-0.926		76.464		Yes		9/8/25 10:01		RTK		32		1.02		0.62		0.81		9761		-1339		Yes		RTK		3D		0.4		3739		0.672		0.591		0.472		1.789				WME		Water Meter

		UP5150		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5150		9/8/25 10:02		3731'35.3180"N		797'14.0227"W		64.955		888948.803		0		UNKNOWN		79		65536		CLASSIC		OMNI PEAK		140		69.296		100		1		12		17.272		-2.063		44.567		Yes		9/8/25 10:02		RTK		31		1.08		0.63		0.87		9716		-1339		Yes		RTK		3D		1		3739		0.759		0.472		0.551		1.787				WME		Water Meter

		UP5151		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5151		9/8/25 10:04		3731'33.1608"N		797'14.0666"W		218.878		889167.681		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		100		100		0		12		9.677		-3.649		1.337		Yes		9/8/25 10:04		RTK		31		1.08		0.63		0.88		9762		-1339		Yes		RTK		3D		0.8		3739		0.512		0.394		0.394		1.291				WME		Water Meter

		UP5152		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5152		9/8/25 10:05		3731'32.5307"N		797'14.8655"W		90.649		889258.33		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.759		100		-40		8		8.166		-0.316		55.388		Yes		9/8/25 10:05		RTK		31		1.08		0.63		0.88		9761		-1339		Yes		RTK		3D		0.4		3739		1.512		0.948		0.63		3.568				WME		Water Meter

		UP5153		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5153		9/8/25 10:05		3731'31.6951"N		797'14.4929"W		89.923		889348.253		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		100		100		-1		8		8.847		3.113		-0.054		Yes		9/8/25 10:05		RTK		31		1.14		0.66		0.94		9760		-1339		Yes		RTK		3D		1		3739		2.688		1.774		0.945		6.441				WME		Water Meter

		UP5154		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5154		9/8/25 10:06		3731'31.6470"N		797'13.7789"W		57.652		889405.905		0		UNKNOWN		162		65536		CLASSIC		OMNI PEAK		140		41.467		100		-2		7		12.796		0.792		-17.193		Yes		9/8/25 10:06		RTK		31		1.09		0.63		0.89		9741		-1339		Yes		RTK		3D		0.6		3739		0.759		0.672		0.433		2.027				WME		Water Meter

		UP5155		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5155		9/8/25 10:06		3731'31.9176"N		797'13.6176"W		30.362		889436.267		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		60.335		100		15		11		11.771		3.249		-67.9		Yes		9/8/25 10:06		RTK		31		1.09		0.63		0.89		9749		-1339		Yes		RTK		3D		1.4		3739		2.058		0.948		0.709		4.531				WME		Water Meter

		UP5156		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5156		9/8/25 10:08		3731'32.4651"N		797'13.5947"W		55.573		889491.84		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		32.095		100		0		10		11.162		-0.752		-30.601		Yes		9/8/25 10:08		RTK		31		1.14		0.65		0.94		9749		-1339		Yes		RTK		3D		0.6		3739		1.388		0.759		0.669		3.164				WME		Water Meter

		UP5157		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5157		9/8/25 10:12		3731'36.1239"N		797'12.5167"W		381.191		889873.031		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		100		100		-2		10		11.859		-0.991		83.984		Yes		9/8/25 10:12		FLOAT RTK		31		1.1		0.63		0.9		9627		-1339		Yes		FLOAT RTK		3D		0.4		3739		7.73		4.601		1.024		17.992				WME		Water Meter

		UP5158		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5158		9/8/25 10:15		3731'36.7516"N		797'9.0212"W		288.359		890161.39		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		27.365		100		10		11		7.533		8.639		9.492		Yes		9/8/25 10:15		FLOAT RTK		31		1.21		0.67		1		9474		-1339		Yes		FLOAT RTK		3D		0.8		3739		38.652		25.768		5.906		92.907				WME		Water Meter

		UP5159		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5159		9/8/25 10:16		3731'36.4697"N		797'7.3701"W		135.884		890297.274		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		28.149		100		-32		6		14.39		-0.084		-2.32		Yes		9/8/25 10:16		FLOAT RTK		31		1.11		0.63		0.91		9428		-1339		Yes		FLOAT RTK		3D		0.8		3739		4.785		3.681		0.787		12.075				WME		Water Meter

		UP5160		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5160		9/8/25 10:17		3731'36.4556"N		797'6.4089"W		77.343		890374.618		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		75.43		100		0		11		10.28		3.467		29.529		Yes		9/8/25 10:17		RTK		30		1.15		0.65		0.94		9448		-1339		Yes		RTK		3D		0.8		3739		0.591		0.512		0.472		1.563				WME		Water Meter

		UP5161		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5161		9/8/25 10:20		3731'36.5755"N		797'3.8953"W		202.607		890577.225		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		2		13		10.473		2.005		-88.776		Yes		9/8/25 10:20		RTK		31		1.15		0.65		0.94		9387		-1339		Yes		RTK		3D		1		3739		1.512		1.388		0.709		4.105				WME		Water Meter

		UP5162		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5162		9/8/25 10:22		3731'38.7760"N		797'1.7134"W		283.999		890861.224		0		UNKNOWN		33		65536		CLASSIC		OMNI PEAK		140		100		100		-5		10		18.261		1.865		19.96		Yes		9/8/25 10:22		FLOAT RTK		31		1.2		0.65		1.01		9522		-1339		Yes		FLOAT RTK		3D		0.6		3739		16.197		13.068		2.953		41.623				WME		Water Meter

		UP5163		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5163		9/8/25 10:23		3731'39.4959"N		797'2.1681"W		81.683		890942.906		0		UNKNOWN		186		65536		CLASSIC		OMNI PEAK		140		87.595		100		0		11		16.045		2.286		43.833		Yes		9/8/25 10:23		RTK		30		1.2		0.65		1.01		9572		-1339		Yes		RTK		3D		1		3739		0.85		0.512		0.472		1.985				WME		Water Meter

		UP5164		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5164		9/8/25 10:25		3731'40.5037"N		797'2.7679"W		113.059		891055.966		0		UNKNOWN		24		65536		CLASSIC		OMNI PEAK		140		98.527		100		10		9		10.457		-2.619		-62.658		Yes		9/8/25 10:25		RTK		30		1.28		0.7		1.08		9665		-1339		Yes		RTK		3D		1.2		3739		0.948		0.512		0.512		2.154				WME		Water Meter

		UP5165		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5165		9/8/25 10:26		3731'40.9852"N		797'3.0643"W		54.359		891110.324		0		UNKNOWN		65		65536		CLASSIC		OMNI PEAK		140		35.442		100		0		12		15.424		-2.932		-28.079		Yes		9/8/25 10:26		RTK		30		1.21		0.65		1.02		9711		-1339		Yes		RTK		3D		0.8		3739		0.551		0.394		0.394		1.355				WME		Water Meter

		UP5166		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5166		9/8/25 10:28		3731'41.9377"N		797'3.6446"W		107.325		891217.65		0		UNKNOWN		26		65536		CLASSIC		OMNI PEAK		140		100		100		-6		6		10.26		-0.58		-78.955		Yes		9/8/25 10:28		RTK		30		1.11		0.62		0.92		9745		-1339		Yes		RTK		3D		1.2		3739		1.774		1.27		0.748		4.364				WME		Water Meter

		UP5167		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5167		9/8/25 10:29		3731'42.1122"N		797'6.7501"W		250.485		891468.135		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		58.585		100		-14		9		16.869		0.124		-68.866		Yes		9/8/25 10:29		RTK		29		1.22		0.65		1.03		9888		-1339		Yes		RTK		3D		0.6		3739		1.27		0.85		0.591		3.057				WME		Water Meter

		UP5168		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5168		9/8/25 10:30		3731'42.5114"N		797'9.3920"W		216.377		891684.512		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		100		100		16		10		10.294		0.356		-19.115		Yes		9/8/25 10:30		FLOAT RTK		29		1.22		0.65		1.03		9888		-1339		Yes		FLOAT RTK		3D		0.8		3739		34.97		31.289		5.906		93.85				WME		Water Meter

		UP5169		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5169		9/8/25 10:32		3731'41.4640"N		797'6.8947"W		227.296		891911.807		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		100		100		5		10		11.627		0.058		13.435		Yes		9/8/25 10:32		RTK		29		1.22		0.66		1.03		9886		-1339		Yes		RTK		3D		1		3739		2.522		1.913		0.906		6.332				WME		Water Meter

		UP5170		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5170		9/8/25 10:33		3731'41.6880"N		797'5.2150"W		137.034		892048.841		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		100		100		0		11		14.27		-0.137		39.841		Yes		9/8/25 10:33		RTK		29		1.23		0.66		1.04		9837		-1339		Yes		RTK		3D		0.6		3739		0.551		0.512		0.433		1.504				WME		Water Meter

		UP5171		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5171		9/8/25 10:36		3731'40.2588"N		797'3.4681"W		201.933		892250.774		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		81.658		100		-4		7		15.462		1.364		87.525		Yes		9/8/25 10:36		RTK		30		1.23		0.66		1.04		9699		-1339		Yes		RTK		3D		0.4		3739		0.85		0.672		0.512		2.168				WME		Water Meter

		UP5172		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5172		9/8/25 10:36		3731'39.3581"N		797'2.8575"W		103.743		892354.517		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		-2		10		8.27		-0.824		27.803		Yes		9/8/25 10:36		RTK		30		1.23		0.66		1.04		9589		-1339		Yes		RTK		3D		0.8		3739		0.85		0.672		0.512		2.168				WME		Water Meter

		UP5173		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5173		9/8/25 10:39		3731'36.8516"N		797'5.5230"W		332.644		892687.161		0		UNKNOWN		42		65536		CLASSIC		OMNI PEAK		140		73.047		100		-4		10		15.017		-0.379		36.236		Yes		9/8/25 10:39		FLOAT RTK		30		1.24		0.67		1.04		9454		-1339		Yes		FLOAT RTK		3D		0.4		3739		3.497		3.313		0.551		9.634				WME		Water Meter

		UP5174		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5174		9/8/25 10:41		3731'37.0094"N		797'7.3166"W		145.193		892832.354		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		2		7		15.67		-4.469		21.053		Yes		9/8/25 10:41		RTK		28		1.23		0.66		1.04		9455		-1339		Yes		RTK		3D		0.8		3739		0.85		0.672		0.472		2.168				WME		Water Meter

		UP5175		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5175		9/8/25 10:41		3731'36.9974"N		797'7.4487"W		10.698		892843.051		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		2		8		14.831		-3.01		4.902		Yes		9/8/25 10:41		RTK		29		1.29		0.72		1.07		9446		-1339		Yes		RTK		3D		0.8		3739		1.512		1.157		0.63		3.808				WME		Water Meter

		UP5176		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5176		9/8/25 10:44		3731'37.4014"N		797'14.3078"W		553.381		893396.432		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		25.361		100		1		13		8.976		0.756		-35.932		Yes		9/8/25 10:44		RTK		30		1.24		0.67		1.04		9842		-1339		Yes		RTK		3D		0.4		3739		0.591		0.433		0.433		1.465				WME		Water Meter

		UP5177		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5177		9/8/25 10:45		3731'38.3040"N		797'15.2501"W		118.887		893515.32		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		100		100		-2		10		21.93		-1.779		50.083		Yes		9/8/25 10:45		RTK		30		1.33		0.68		1.14		9931		-1339		Yes		RTK		3D		1		3739		0.948		0.672		0.551		2.323				WME		Water Meter

		UP5178		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5178		9/8/25 10:48		3731'39.2806"N		797'16.4867"W		140.41		893655.729		0		UNKNOWN		36		65536		CLASSIC		OMNI PEAK		140		36.545		100		-11		10		11.159		0.596		85.342		Yes		9/8/25 10:48		RTK		31		1.23		0.67		1.03		10031		-1339		Yes		RTK		3D		0.8		3739		0.512		0.433		0.394		1.341				WME		Water Meter

		UP5179		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5179		9/8/25 10:54		3731'41.0863"N		797'16.9161"W		186.411		893842.14		0		UNKNOWN		38		65536		CLASSIC		OMNI PEAK		140		81.745		100		-2		11		25.066		-1.6		-43.998		Yes		9/8/25 10:54		RTK		30		1.11		0.62		0.92		10100		-1339		Yes		RTK		3D		0.4		3739		0.512		0.433		0.394		1.341				WME		Water Meter

		UP5180		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5180		9/8/25 10:55		3731'42.0585"N		797'17.2419"W		102.056		893944.196		0		UNKNOWN		19		65536		CLASSIC		OMNI PEAK		140		100		100		2		11		10.025		1.581		18.328		Yes		9/8/25 10:55		RTK		30		1.18		0.63		0.99		10148		-1339		Yes		RTK		3D		0.4		3739		0.759		0.591		0.472		1.923				WME		Water Meter

		UP5181		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5181		9/8/25 10:58		3731'42.6494"N		797'17.4375"W		61.981		894006.177		0		UNKNOWN		21		65536		CLASSIC		OMNI PEAK		140		100		100		1		12		11.09		-2.44		-25.22		Yes		9/8/25 10:58		RTK		30		1.15		0.66		0.94		10177		-1339		Yes		RTK		3D		1		3739		0.472		0.433		0.394		1.282				WME		Water Meter

		UP5182		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5182		9/8/25 10:59		3731'43.7118"N		797'17.7436"W		110.558		894116.735		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		100		100		-1		9		13.287		-3.582		24.364		Yes		9/8/25 10:59		RTK		28		1.11		0.62		0.91		10238		-1339		Yes		RTK		3D		1		3739		0.472		0.394		0.394		1.23				WME		Water Meter

		UP5183		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5183		9/8/25 11:00		3731'44.6391"N		797'18.0170"W		96.612		894213.346		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		100		-1		9		14.598		-0.534		78.092		Yes		9/8/25 11:00		RTK		30		1.11		0.63		0.91		10293		-1339		Yes		RTK		3D		2		3739		1.157		0.551		0.472		2.564				WME		Water Meter

		UP5184		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5184		9/8/25 11:01		3731'46.1485"N		797'18.2638"W		154.414		894367.76		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		100		100		-17		10		14.315		0.52		20.371		Yes		9/8/25 11:01		FLOAT RTK		31		1.06		0.59		0.88		10345		-1339		Yes		FLOAT RTK		3D		1.8		3739		4.049		4.049		0.709		11.453				WME		Water Meter

		UP5185		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5185		9/8/25 11:03		3731'47.3226"N		797'15.6929"W		238.685		894606.446		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		100		100		1		10		14.547		-1.729		61.161		Yes		9/8/25 11:03		RTK		30		1.12		0.61		0.94		10334		-1339		Yes		RTK		3D		1		3739		0.591		0.512		0.433		1.563				WME		Water Meter

		UP5186		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5186		9/8/25 11:03		3731'47.3131"N		797'15.6614"W		2.706		894609.152		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		39.157		100		-7		6		15.933		-3.287		81.801		Yes		9/8/25 11:03		RTK		31		1.12		0.61		0.94		10337		-1339		Yes		RTK		3D		5.6		3739		0.948		0.85		0.551		2.546				WME		Water Meter

		UP5187		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5187		9/8/25 11:03		3731'47.1929"N		797'15.3279"W		29.475		894638.626		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		5.309		100		6		9		15.287		-5.128		-72.519		Yes		9/8/25 11:03		RTK		30		1.12		0.61		0.94		10337		-1339		Yes		RTK		3D		10		3739		1.05		0.85		0.591		2.702				WME		Water Meter

		UP5188		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5188		9/8/25 11:05		3731'46.7960"N		797'13.9040"W		121.431		894760.057		0		UNKNOWN		225		65536		CLASSIC		OMNI PEAK		140		45.669		100		10		9		13.133		-1.312		12.184		Yes		9/8/25 11:05		RTK		31		1.12		0.61		0.94		10311		-1339		Yes		RTK		3D		0.8		3739		0.472		0.35		0.394		1.176				WME		Water Meter

		UP5189		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5189		9/8/25 11:06		3731'46.7033"N		797'12.6278"W		103.107		894863.164		0		UNKNOWN		50		65536		CLASSIC		OMNI PEAK		140		100		100		2		7		8.474		0.712		73.157		Yes		9/8/25 11:06		RTK		29		1.18		0.65		0.99		10243		-1339		Yes		RTK		3D		0.6		3739		0.551		0.472		0.394		1.452				WME		Water Meter

		UP5190		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5190		9/8/25 11:08		3731'46.5774"N		797'11.6811"W		77.223		894940.387		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		4.623		100		0		9		11.256		0.328		-30.615		Yes		9/8/25 11:08		RTK		31		1.02		0.58		0.83		10183		-1339		Yes		RTK		3D		0.4		3739		0.85		0.551		0.433		2.027				WME		Water Meter

		UP5191		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5191		9/8/25 11:10		3731'46.4057"N		797'9.8210"W		150.666		895091.054		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		40.112		100		0		12		12.111		-1.202		-71.038		Yes		9/8/25 11:10		FLOAT RTK		31		1.11		0.61		0.93		10078		-1339		Yes		FLOAT RTK		3D		1		3739		4.049		3.865		0.748		11.196				WME		Water Meter

		UP5192		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5192		9/8/25 11:11		3731'46.0422"N		797'8.4281"W		117.978		895209.032		0		UNKNOWN		717		65536		CLASSIC		OMNI PEAK		140		68.999		100		-19		9		11.576		-0.915		76.445		Yes		9/8/25 11:11		RTK		30		1.01		0.58		0.83		10018		-1339		Yes		RTK		3D		0.4		3739		0.512		0.366		0.394		1.259				WME		Water Meter

		UP5193		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5193		9/8/25 11:12		3731'45.4286"N		797'7.1998"W		116.793		895325.824		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		38.608		100		-6		8		10.681		2.225		-10.036		Yes		9/8/25 11:12		RTK		28		1.02		0.59		0.84		9939		-1339		Yes		RTK		3D		0.4		3739		0.85		0.512		0.512		1.985				WME		Water Meter

		UP5194		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5194		9/8/25 11:13		3731'44.7207"N		797'6.2274"W		106.199		895432.023		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		2		9		12.489		-0.829		39.19		Yes		9/8/25 11:13		RTK		31		0.94		0.55		0.76		9866		-1339		Yes		RTK		3D		0.8		3739		3.215		2.207		1.181		7.8				WME		Water Meter

		UP5195		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5195		9/8/25 11:15		3731'44.9229"N		797'5.4820"W		63.386		895495.41		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		-1		11		9.376		1.623		-19.271		Yes		9/8/25 11:15		RTK		30		0.98		0.56		0.8		9816		-1339		Yes		RTK		3D		0.6		3739		1.388		0.672		0.63		3.085				WME		Water Meter

		UP5196		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5196		9/8/25 11:16		3731'46.3088"N		797'7.3664"W		206.774		895702.183		0		UNKNOWN		28		65536		CLASSIC		OMNI PEAK		140		92.012		100		-1		6		13.51		-2.585		-78.767		Yes		9/8/25 11:16		RTK		30		1.13		0.63		0.94		9947		-1339		Yes		RTK		3D		0.6		3739		1.157		0.85		0.63		2.873				WME		Water Meter

		UP5197		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5197		9/8/25 11:18		3731'46.9921"N		797'9.4239"W		179.465		895881.649		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		59.105		100		-13		11		10.202		0.109		-80.827		Yes		9/8/25 11:18		RTK		28		1.14		0.63		0.94		10073		-1339		Yes		RTK		3D		0.6		3739		0.759		0.591		0.512		1.923				WME		Water Meter

		UP5198		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5198		9/8/25 11:19		3731'47.2519"N		797'12.7402"W		268.103		896149.752		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		55.992		100		-11		7		13.228		2.503		25.045		Yes		9/8/25 11:19		FLOAT RTK		27		1.06		0.6		0.88		10247		-1339		Yes		FLOAT RTK		3D		1.2		3739		6.258		4.233		0.709		15.11				WME		Water Meter

		UP5199		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5199		9/8/25 11:23		3731'47.5512"N		797'14.3424"W		132.432		896282.184		0		UNKNOWN		90		65536		CLASSIC		OMNI PEAK		140		41.846		100		7		10		9.814		-2.92		-56.16		Yes		9/8/25 11:23		FLOAT RTK		29		1.06		0.6		0.87		10287		-1339		Yes		FLOAT RTK		3D		0.6		3739		4.417		3.129		0.669		10.826				WME		Water Meter

		UP5200		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5200		9/8/25 11:25		3731'49.2179"N		797'16.6729"W		252.481		896534.664		0		UNKNOWN		71		65536		CLASSIC		OMNI PEAK		140		45.579		100		-25		8		7.061		2.025		-68.206		Yes		9/8/25 11:25		RTK		30		1.05		0.6		0.87		10268		-1339		Yes		RTK		3D		0.8		3739		1.388		1.157		0.709		3.615				WME		Water Meter

		UP5201		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5201		9/8/25 11:27		3731'50.6748"N		797'13.2313"W		313.87		896848.534		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		30.263		100		-12		7		14.708		-0.448		49.8		Yes		9/8/25 11:27		RTK		30		1.29		0.7		1.08		10198		-1339		Yes		RTK		3D		1.2		3739		3.593		2.688		1.378		8.974				WME		Water Meter

		UP5202		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5202		9/8/25 11:28		3731'50.8405"N		797'12.5487"W		57.433		896905.967		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		28.025		100		5		11		11.94		-3.383		-50.467		Yes		9/8/25 11:28		RTK		30		1.29		0.7		1.09		10206		-1339		Yes		RTK		3D		1		3739		1.64		1.27		0.906		4.15				WME		Water Meter

		UP5203		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5203		9/8/25 11:29		3731'51.0855"N		797'11.5516"W		83.982		896989.949		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		36.183		100		6		7		10.699		-1.973		-4.141		Yes		9/8/25 11:29		RTK		30		1.12		0.65		0.91		10158		-1339		Yes		RTK		3D		1		3739		1.774		0.759		0.827		3.859				WME		Water Meter

		UP5204		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5204		9/8/25 11:31		3731'52.1428"N		797'6.8948"W		389.702		897379.652		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		100		100		-3		11		13.476		-0.571		-33.869		Yes		9/8/25 11:31		RTK		31		1.13		0.65		0.92		10121		-1339		Yes		RTK		3D		0.4		3739		0.672		0.433		0.394		1.599				WME		Water Meter

		UP5205		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5205		9/8/25 11:33		3731'52.1701"N		797'9.5747"W		215.623		897595.274		0		UNKNOWN		14		65536		CLASSIC		OMNI PEAK		140		95.883		100		0		12		12.222		-3.369		11.94		Yes		9/8/25 11:33		RTK		31		1.26		0.69		1.05		9999		-1339		Yes		RTK		3D		1		3739		0.551		0.512		0.472		1.504				WME		Water Meter

		UP5206		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5206		9/8/25 11:33		3731'52.1113"N		797'9.7592"W		15.995		897611.269		0		UNKNOWN		50		65536		CLASSIC		OMNI PEAK		140		100		100		4		10		12.453		-0.909		16.343		Yes		9/8/25 11:33		RTK		31		1.26		0.69		1.05		10003		-1339		Yes		RTK		3D		0.6		3739		0.591		0.472		0.512		1.513				WME		Water Meter

		UP5207		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5207		9/8/25 11:35		3731'51.8319"N		797'11.0450"W		107.259		897718.528		0		UNKNOWN		123		65536		CLASSIC		OMNI PEAK		140		66.199		100		-9		6		9.602		6.163		-16.385		Yes		9/8/25 11:35		RTK		32		1		0.6		0.8		10154		-1339		Yes		RTK		3D		1.4		3739		0.551		0.433		0.394		1.402				WME		Water Meter

		UP5208		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5208		9/8/25 11:38		3731'51.1663"N		797'14.0667"W		252.313		897970.841		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		0		12		12.98		1.855		-86.47		Yes		9/8/25 11:38		RTK		31		0.96		0.58		0.77		10216		-1339		Yes		RTK		3D		0.6		3739		1.512		0.85		0.669		3.469				WME		Water Meter

		UP5209		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5209		9/8/25 11:41		3731'50.5725"N		797'15.8808"W		157.89		898128.731		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		100		100		1		9		13.731		-2.663		38.379		Yes		9/8/25 11:41		RTK		30		0.99		0.59		0.79		10180		-1339		Yes		RTK		3D		0.6		3739		0.672		0.512		0.472		1.689				WME		Water Meter

		UP5210		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5210		9/8/25 11:42		3731'49.8998"N		797'17.2390"W		128.829		898257.56		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		-1		11		10.16		0.499		-5.922		Yes		9/8/25 11:42		RTK		29		1.04		0.61		0.85		10336		-1339		Yes		RTK		3D		0.4		3739		0.433		0.346		0.394		1.109				WME		Water Meter

		UP5211		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5211		9/8/25 11:43		3731'48.9340"N		797'18.0128"W		116.087		898373.647		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		4		6		7.369		0.935		55.556		Yes		9/8/25 11:43		RTK		30		1.02		0.6		0.83		10312		-1339		Yes		RTK		3D		1		3739		0.551		0.394		0.433		1.355				WME		Water Meter

		UP5212		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5212		9/8/25 11:44		3731'48.5221"N		797'18.4210"W		53.145		898426.793		0		UNKNOWN		157		65536		CLASSIC		OMNI PEAK		140		45.445		100		24		10		12.317		-1.552		-24.862		Yes		9/8/25 11:44		RTK		30		1.02		0.6		0.83		10279		-1339		Yes		RTK		3D		1		3739		1.913		1.157		0.866		4.472				WME		Water Meter

		UP5213		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5213		9/8/25 11:47		3731'45.6791"N		797'19.8725"W		311.168		898737.961		0		UNKNOWN		1596		65536		CLASSIC		OMNI PEAK		140		100		100		-2		13		11.403		-0.018		22.665		Yes		9/8/25 11:47		RTK		31		0.98		0.59		0.79		10317		-1339		Yes		RTK		3D		0.4		3739		1.05		0.551		0.591		2.372				WME		Water Meter

		UP5214		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5214		9/8/25 11:49		3731'45.4700"N		797'22.3754"W		202.487		898940.447		0		UNKNOWN		63		65536		CLASSIC		OMNI PEAK		140		81.329		100		-5		8		7.791		-2.178		10.392		Yes		9/8/25 11:49		RTK		31		0.99		0.59		0.79		10241		-1339		Yes		RTK		3D		1.2		3739		0.948		0.591		0.551		2.233				WME		Water Meter

		UP5215		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5215		9/8/25 11:50		3731'44.7233"N		797'21.5566"W		100.391		899040.838		0		UNKNOWN		14		65536		CLASSIC		OMNI PEAK		140		100		100		-1		10		12.054		-1.521		29.63		Yes		9/8/25 11:50		RTK		31		0.99		0.59		0.8		10291		-1339		Yes		RTK		3D		1		3739		0.591		0.433		0.433		1.465				WME		Water Meter

		UP5216		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5216		9/8/25 11:51		3731'45.0866"N		797'20.2617"W		110.503		899151.341		0		UNKNOWN		15		65536		CLASSIC		OMNI PEAK		140		100		100		0		8		14.051		-1.732		-30.563		Yes		9/8/25 11:51		RTK		32		0.97		0.57		0.78		10325		-1339		Yes		RTK		3D		0.6		3739		0.472		0.362		0.394		1.191				WME		Water Meter

		UP5217		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5217		9/8/25 11:53		3731'43.9523"N		797'18.5045"W		182.291		899333.632		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		100		100		2		10		13.458		-0.862		-3.106		Yes		9/8/25 11:53		RTK		31		1		0.57		0.82		10274		-1339		Yes		RTK		3D		1.4		3739		0.512		0.394		0.433		1.291				WME		Water Meter

		UP5218		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5218		9/8/25 11:55		3731'41.5754"N		797'19.3969"W		251.604		899585.236		0		UNKNOWN		15		65536		CLASSIC		OMNI PEAK		140		100		100		1		8		12.433		-2.904		-75.237		Yes		9/8/25 11:55		RTK		31		1		0.57		0.82		10222		-1339		Yes		RTK		3D		0.8		3739		0.85		0.551		0.512		2.027				WME		Water Meter

		UP5219		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5219		9/8/25 11:56		3731'41.3516"N		797'21.4411"W		166.027		899751.263		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		100		100		-4		9		12.487		-2.9		-19.306		Yes		9/8/25 11:56		RTK		31		1.04		0.59		0.85		10269		-1339		Yes		RTK		3D		0.8		3739		0.551		0.472		0.394		1.452				WME		Water Meter

		UP5220		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5220		9/8/25 11:57		3731'41.0635"N		797'21.5582"W		30.707		899781.97		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		100		100		4		12		11.44		0.367		-15.85		Yes		9/8/25 11:57		FLOAT RTK		30		1.03		0.59		0.85		10270		-1339		Yes		FLOAT RTK		3D		1		3739		2.945		2.577		0.433		7.826				WME		Water Meter

		UP5221		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5221		9/8/25 11:59		3731'38.4170"N		797'17.6849"W		411.335		900193.305		0		UNKNOWN		74		65536		CLASSIC		OMNI PEAK		140		40.653		100		-4		10		13.893		0.202		76.973		Yes		9/8/25 11:59		RTK		30		1.02		0.57		0.85		9907		-1339		Yes		RTK		3D		0.6		3739		1.157		0.672		0.63		2.677				WME		Water Meter

		UP5222		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5222		9/8/25 12:00		3731'38.0720"N		797'17.8168"W		36.571		900229.875		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		100		100		-7		12		12.952		-0.949		-67.684		Yes		9/8/25 12:00		RTK		29		1.04		0.6		0.85		9879		-1339		Yes		RTK		3D		0.4		3739		0.672		0.551		0.472		1.738				WME		Water Meter

		UP5223		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5223		9/8/25 12:05		3731'36.3752"N		797'19.0811"W		199.959		900429.834		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		8.978		100		-6		10		22.476		-3.967		-65.869		Yes		9/8/25 12:05		RTK		31		1.02		0.54		0.86		9735		-1339		Yes		RTK		3D		1.2		3739		0.512		0.433		0.433		1.341				WME		Water Meter

		UP5224		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5224		9/8/25 12:08		3731'49.8107"N		797'25.8134"W		1466.714		901896.548		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		76.433		100		15		5		22.952		1.698		-67.814		Yes		9/8/25 12:08		FLOAT RTK		31		1		0.53		0.84		10041		-1339		Yes		FLOAT RTK		3D		0.6		3739		40.492		27.608		5.512		98.017				WME		Water Meter

		UP5225		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5225		9/8/25 12:13		3731'56.6631"N		797'27.1648"W		703.629		902600.177		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		100		100		-4		9		11.841		-1.818		-3.076		Yes		9/8/25 12:13		RTK		32		1		0.53		0.85		10319		-1339		Yes		RTK		3D		1		3739		0.759		0.551		0.512		1.875				WME		Water Meter

		UP5226		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5226		9/8/25 12:13		3731'56.6840"N		797'27.1657"W		2.127		902602.304		0		UNKNOWN		21		65536		CLASSIC		OMNI PEAK		140		98.168		100		4		10		16.724		-3.606		-34.756		Yes		9/8/25 12:13		RTK		31		1		0.53		0.85		10321		-1339		Yes		RTK		3D		0.4		3739		0.85		0.551		0.591		2.027				WME		Water Meter

		UP5227		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5227		9/8/25 12:17		3732'17.0617"N		797'37.3324"W		2223.236		904825.54		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		8.912		100		-8		9		15.403		-1.087		59.835		Yes		9/8/25 12:17		RTK		32		1.05		0.54		0.9		9472		-1339		Yes		RTK		3D		0.8		3739		0.394		0.291		0.394		0.98				WME		Water Meter

		UP5228		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5228		9/8/25 12:21		3732'51.1702"N		797'44.4385"W		0		904825.54		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		140		100		100		0		10		11.183		0.468		-43.48		Yes		9/8/25 12:21		RTK		32		0.99		0.52		0.84		10205		-1339		Yes		RTK		3D		1		3739		1.05		0.551		0.551		2.372				WME		Water Meter

		UP5229		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5229		9/8/25 12:22		3732'56.3950"N		797'45.9132"W		543.167		905368.707		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		100		100		-13		7		11.167		-0.502		42.042		Yes		9/8/25 12:22		RTK		32		0.99		0.52		0.84		10330		-1339		Yes		RTK		3D		1		3739		0.591		0.472		0.512		1.513				WME		Water Meter

		UP5230		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5230		9/8/25 12:25		3733'1.8828"N		797'43.7847"W		582.46		905951.167		0		UNKNOWN		164		65536		CLASSIC		OMNI PEAK		140		93.032		100		2		9		15.271		-0.595		4.222		Yes		9/8/25 12:25		RTK		32		1.04		0.53		0.89		10329		-1339		Yes		RTK		3D		0.4		3739		0.591		0.472		0.551		1.513				WME		Water Meter

		UP5231		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5231		9/8/25 12:28		3732'50.4497"N		797'45.2429"W		1165.8		907116.968		0		UNKNOWN		30		65536		CLASSIC		OMNI PEAK		140		91.699		100		39		10		12.572		-2.786		-9.094		Yes		9/8/25 12:28		RTK		30		1.07		0.56		0.91		10228		-1339		Yes		RTK		3D		1.2		3739		0.394		0.394		0.394		1.114				WME		Water Meter

		UP5232		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5232		9/8/25 12:31		3732'42.3816"N		797'43.4217"W		831.519		907948.486		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		100		-29		11		12.754		-3.458		-16.776		Yes		9/8/25 12:31		RTK		30		1.04		0.53		0.9		10801		-1339		Yes		RTK		3D		0.4		3739		0.433		0.358		0.394		1.124				WME		Water Meter

		UP5233		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5233		9/8/25 12:33		3732'39.1633"N		797'42.8101"W		330.189		908278.676		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.665		100		-4		11		8.362		-4.42		-49.84		Yes		9/8/25 12:33		RTK		32		0.99		0.5		0.85		10834		-1339		Yes		RTK		3D		1.2		3739		0.591		0.472		0.472		1.513				WME		Water Meter

		UP5234		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5234		9/8/25 12:36		3732'33.8850"N		797'39.0800"W		613.811		908892.487		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		44.747		100		12		7		7.821		1.416		34.06		Yes		9/8/25 12:36		RTK		32		0.99		0.5		0.85		10452		-1339		Yes		RTK		3D		1		3739		1.27		0.759		0.827		2.959				WME		Water Meter

		UP5235		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5235		9/8/25 12:37		3732'33.5740"N		797'38.7838"W		39.533		908932.019		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		19.72		100		-9		11		12.276		2.855		-50.424		Yes		9/8/25 12:37		RTK		32		0.98		0.5		0.84		10453		-1339		Yes		RTK		3D		1		3739		2.362		0.759		0.945		4.962				WME		Water Meter

		UP5236		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5236		9/8/25 12:39		3732'22.8111"N		797'38.4878"W		1092.167		910024.186		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		18.351		100		-1		11		12.708		-0.215		-19.653		Yes		9/8/25 12:39		RTK		30		1.11		0.54		0.97		9302		-1339		Yes		RTK		3D		1.2		3739		1.774		0.948		1.299		4.023				WME		Water Meter

		UP5237		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5237		9/8/25 12:42		3732'7.4659"N		797'30.1197"W		1696.089		911720.275		0		UNKNOWN		51		65536		CLASSIC		OMNI PEAK		140		85.776		100		-1		8		15.99		-2.027		0.468		Yes		9/8/25 12:42		FLOAT RTK		29		1.05		0.54		0.9		10069		-1339		Yes		FLOAT RTK		3D		1		3739		25.768		20.246		4.724		65.54				WME		Water Meter

		UP5238		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5238		9/8/25 12:43		3732'0.1041"N		797'28.4670"W		758.602		912478.877		0		UNKNOWN		12583		65536		CLASSIC		OMNI PEAK		140		50.869		100		0		11		10.779		-3.72		-11.47		Yes		9/8/25 12:43		RTK		30		1.07		0.54		0.92		10489		-1339		Yes		RTK		3D		1.4		3739		0.759		0.433		0.512		1.747				WME		Water Meter

		UP5239		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5239		9/8/25 12:46		3731'46.1627"N		797'26.0704"W		1427.439		913906.316		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		100		100		-1		10		9.478		0.452		-2.131		Yes		9/8/25 12:46		FLOAT RTK		31		1.12		0.55		0.98		9955		-1339		Yes		FLOAT RTK		3D		1		3739		2.577		2.025		0.472		6.554				WME		Water Meter

		UP5240		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5240		9/9/25 7:37		3730'19.7637"N		797'21.3852"W		0		913906.316		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		5.803		100		-1		11		29.135		7.533		82.672		Yes		9/9/25 7:37		FLOAT RTK		30		1.02		0.55		0.87		8737		-1339		Yes		FLOAT RTK		3D		1.2		137		4.233		2.761		0.787		10.108				WME		Water Meter

		UP5241		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5241		9/9/25 7:41		3730'18.1091"N		797'22.5143"W		190.873		914097.189		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		30.358		100		1		11		17.73		-4.802		33.315		Yes		9/9/25 7:41		RTK		31		0.91		0.51		0.76		8986		-1339		Yes		RTK		3D		0.8		137		0.433		0.335		0.433		1.095				WME		Water Meter

		UP5242		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5242		9/9/25 7:42		3730'17.8879"N		797'23.8554"W		110.237		914207.426		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		12.699		100		3		7		11.37		-3.449		0.425		Yes		9/9/25 7:42		RTK		29		1		0.56		0.83		9122		-1339		Yes		RTK		3D		1.2		137		2.522		1.05		0.827		5.464				WME		Water Meter

		UP5243		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5243		9/9/25 7:44		3730'17.8475"N		797'25.8407"W		159.834		914367.26		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		1.207		100		7		11		9.128		-2.134		68.768		Yes		9/9/25 7:44		RTK		31		0.98		0.55		0.81		9301		-1339		Yes		RTK		3D		1.4		137		2.688		1.512		0.906		6.167				WME		Water Meter

		UP5244		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5244		9/9/25 7:45		3730'17.2548"N		797'26.8162"W		98.892		914466.152		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		51.716		100		-8		9		7.202		-0.62		88.752		Yes		9/9/25 7:45		RTK		31		1.03		0.55		0.88		9422		-1339		Yes		RTK		3D		0.8		137		0.759		0.591		0.591		1.923				WME		Water Meter

		UP5245		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5245		9/9/25 7:46		3730'17.8092"N		797'26.8896"W		56.561		914522.713		0		UNKNOWN		50		65536		CLASSIC		OMNI PEAK		140		9.165		100		0		12		11.089		-0.099		-80.514		Yes		9/9/25 7:46		RTK		32		1.03		0.55		0.87		9326		-1339		Yes		RTK		3D		0.8		137		1.157		1.05		0.748		3.125				WME		Water Meter

		UP5246		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5246		9/9/25 7:48		3730'17.7284"N		797'27.9646"W		86.906		914609.618		0		UNKNOWN		86		65536		CLASSIC		OMNI PEAK		140		10.025		100		13		5		11.293		1.236		-47.654		Yes		9/9/25 7:48		RTK		32		0.96		0.53		0.8		9311		-1339		Yes		RTK		3D		1.4		137		0.948		0.759		0.669		2.427				WME		Water Meter

		UP5247		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5247		9/9/25 7:49		3730'17.6035"N		797'28.8386"W		71.469		914681.087		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		140		44.786		100		6		9		13.751		-1.089		-2.518		Yes		9/9/25 7:49		RTK		32		0.96		0.53		0.8		9283		-1339		Yes		RTK		3D		0.8		137		0.472		0.37		0.394		1.2				WME		Water Meter

		UP5248		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5248		9/9/25 7:50		3730'17.7143"N		797'29.9183"W		87.621		914768.708		0		UNKNOWN		19		65536		CLASSIC		OMNI PEAK		140		21.847		100		1		9		14.373		-0.393		-17.704		Yes		9/9/25 7:50		RTK		32		0.96		0.54		0.79		9207		-1339		Yes		RTK		3D		1.6		137		0.394		0.346		0.394		1.049				WME		Water Meter

		UP5249		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5249		9/9/25 7:51		3730'18.3800"N		797'30.3513"W		76.002		914844.71		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		47.155		100		5		7		20.224		-2.297		72.502		Yes		9/9/25 7:51		RTK		32		1		0.55		0.83		9130		-1339		Yes		RTK		3D		1.2		137		0.672		0.512		0.472		1.689				WME		Water Meter

		UP5250		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5250		9/9/25 7:52		3730'18.2883"N		797'30.8965"W		44.851		914889.561		0		UNKNOWN		16		65536		CLASSIC		OMNI PEAK		140		21.362		100		11		11		11.671		-1.218		-42.847		Yes		9/9/25 7:52		RTK		32		0.95		0.54		0.79		9107		-1339		Yes		RTK		3D		0.6		137		0.551		0.433		0.433		1.402				WME		Water Meter

		UP5251		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5251		9/9/25 7:57		3730'16.1119"N		797'30.2983"W		225.984		915115.545		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		100		100		-4		8		14.893		1.102		45.801		Yes		9/9/25 7:57		RTK		32		1		0.55		0.84		9278		-1339		Yes		RTK		3D		2.2		137		0.591		0.551		0.512		1.616				WME		Water Meter

		UP5252		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5252		9/9/25 7:58		3730'15.1911"N		797'30.0629"W		95.31		915210.855		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		100		100		-5		9		13.141		-1.675		78.585		Yes		9/9/25 7:58		FLOAT RTK		32		1		0.55		0.83		9334		-1339		Yes		FLOAT RTK		3D		1		137		3.129		2.577		0.551		8.107				WME		Water Meter

		UP5253		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5253		9/9/25 7:58		3730'15.0513"N		797'30.7577"W		57.683		915268.538		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		2		9		13.533		-0.339		-36.911		Yes		9/9/25 7:58		RTK		32		1.08		0.58		0.91		9298		-1339		Yes		RTK		3D		1.6		137		0.433		0.394		0.394		1.171				WME		Water Meter

		UP5254		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5254		9/9/25 8:00		3730'14.8273"N		797'28.7539"W		162.861		915431.399		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		2		8		13.058		-0.143		0.367		Yes		9/9/25 8:00		RTK		32		1.05		0.57		0.88		9448		-1339		Yes		RTK		3D		1.4		137		0.591		0.551		0.472		1.616				WME		Water Meter

		UP5255		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5255		9/9/25 8:02		3730'14.4521"N		797'28.2764"W		54.087		915485.486		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		69.92		100		4		7		17.631		0.529		-33.363		Yes		9/9/25 8:02		RTK		32		0.96		0.55		0.79		9490		-1339		Yes		RTK		3D		1.4		137		1.512		0.551		0.591		3.218				WME		Water Meter

		UP5256		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5256		9/9/25 8:03		3730'14.8599"N		797'27.4119"W		80.952		915566.438		0		UNKNOWN		40		65536		CLASSIC		OMNI PEAK		140		72.434		100		7		8		15.548		0.151		71.596		Yes		9/9/25 8:03		RTK		32		0.94		0.53		0.78		9543		-1339		Yes		RTK		3D		0.8		137		0.472		0.433		0.394		1.282				WME		Water Meter

		UP5257		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5257		9/9/25 8:03		3730'14.9826"N		797'26.5849"W		67.712		915634.151		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		30.015		100		3		8		14.677		0.263		-61.818		Yes		9/9/25 8:04		RTK		32		1.19		0.62		1.02		9563		-1339		Yes		RTK		3D		0.8		137		0.591		0.512		0.472		1.563				WME		Water Meter

		UP5258		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5258		9/9/25 8:07		3730'14.3282"N		797'31.6058"W		409.51		916043.661		0		UNKNOWN		15		65536		CLASSIC		OMNI PEAK		140		100		100		2		12		14.243		1.684		-23.513		Yes		9/9/25 8:07		RTK		31		1.07		0.59		0.89		9331		-1339		Yes		RTK		3D		1.6		137		0.672		0.512		0.551		1.689				WME		Water Meter

		UP5259		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5259		9/9/25 8:10		3730'14.8060"N		797'32.5244"W		88.406		916132.067		0		UNKNOWN		10		65536		CLASSIC		OMNI PEAK		140		100		100		-8		11		13.444		1.726		78.412		Yes		9/9/25 8:10		RTK		31		1.06		0.59		0.88		9275		-1339		Yes		RTK		3D		1.2		137		0.948		0.591		0.591		2.233				WME		Water Meter

		UP5260		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5260		9/9/25 8:10		3730'14.3257"N		797'33.4173"W		86.824		916218.892		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		19.169		100		-11		10		16.249		-1.123		-43.554		Yes		9/9/25 8:10		RTK		31		1.06		0.59		0.88		9279		-1339		Yes		RTK		3D		0.6		137		0.591		0.512		0.433		1.563				WME		Water Meter

		UP5261		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5261		9/9/25 8:12		3730'14.6926"N		797'33.9350"W		55.873		916274.765		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		85.094		100		3		9		13.614		0.201		-38.634		Yes		9/9/25 8:12		RTK		32		1.05		0.59		0.88		9238		-1339		Yes		RTK		3D		1		137		1.27		0.948		0.709		3.17				WME		Water Meter

		UP5262		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5262		9/9/25 8:13		3730'14.2189"N		797'34.7470"W		81.124		916355.889		0		UNKNOWN		14		65536		CLASSIC		OMNI PEAK		140		100		100		-4		9		16.977		1.192		-53.047		Yes		9/9/25 8:13		RTK		32		1.05		0.59		0.87		9189		-1339		Yes		RTK		3D		1.4		137		0.551		0.472		0.433		1.452				WME		Water Meter

		UP5263		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5263		9/9/25 8:17		3730'11.4456"N		797'38.4438"W		409.483		916765.372		0		UNKNOWN		31		65536		CLASSIC		OMNI PEAK		140		57.982		100		45		10		14.361		0.076		26.157		Yes		9/9/25 8:17		FLOAT RTK		32		1.04		0.59		0.85		9062		-1339		Yes		FLOAT RTK		3D		1		137		4.601		3.865		0.669		12.019				WME		Water Meter

		UP5264		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5264		9/9/25 8:18		3730'11.3652"N		797'38.4782"W		8.613		916773.985		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		6.769		100		0		11		12.741		-0.782		-35.068		Yes		9/9/25 8:18		FLOAT RTK		32		1.17		0.62		0.99		9066		-1339		Yes		FLOAT RTK		3D		1.2		137		18.406		16.381		2.992		49.279				WME		Water Meter

		UP5265		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5265		9/9/25 8:18		3730'11.3964"N		797'38.3949"W		7.416		916781.401		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		0		10		5.033		-18.385		-72.584		Yes		9/9/25 8:19		RTK		32		1.17		0.62		0.99		9100		-1339		Yes		RTK		3D		1.4		137		0.551		0.433		0.394		1.402				WME		Water Meter

		UP5266		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5266		9/9/25 8:21		3730'10.3143"N		797'38.0113"W		114.043		916895.444		0		UNKNOWN		24		65536		CLASSIC		OMNI PEAK		140		97.707		100		5		10		10.322		3.729		34.136		Yes		9/9/25 8:21		RTK		31		1.2		0.64		1.02		9048		-1339		Yes		RTK		3D		0.6		137		0.85		0.512		0.512		1.985				WME		Water Meter

		UP5267		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5267		9/9/25 8:23		3730'9.7888"N		797'36.5089"W		132.153		917027.596		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		100		100		5		7		23.278		-2.549		-9.725		Yes		9/9/25 8:23		RTK		32		1.19		0.64		1.01		9154		-1339		Yes		RTK		3D		1.2		137		2.688		0.672		0.709		5.541				WME		Water Meter

		UP5268		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5268		9/9/25 8:24		3730'9.4924"N		797'36.7511"W		35.846		917063.442		0		UNKNOWN		26		65536		CLASSIC		OMNI PEAK		140		100		100		5		4		10.774		0.425		45.097		Yes		9/9/25 8:24		RTK		31		1.2		0.65		1		9089		-1339		Yes		RTK		3D		0.8		137		2.058		1.157		0.787		4.722				WME		Water Meter

		UP5269		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5269		9/9/25 8:26		3730'9.7358"N		797'36.3958"W		37.788		917101.23		0		UNKNOWN		26		65536		CLASSIC		OMNI PEAK		140		100		100		-1		11		9.73		0.383		-61.636		Yes		9/9/25 8:27		FLOAT RTK		30		1.17		0.63		0.99		9129		-1339		Yes		FLOAT RTK		3D		1.6		137		13.068		9.571		2.047		32.396				WME		Water Meter

		UP5270		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5270		9/9/25 8:32		3730'10.6250"N		797'39.2270"W		245.065		917346.295		0		UNKNOWN		14		65536		CLASSIC		OMNI PEAK		140		100		100		3		2		12.061		0.333		-14.339		Yes		9/9/25 8:32		RTK		32		1.11		0.62		0.93		8991		-1339		Yes		RTK		3D		1.6		137		0.759		0.672		0.591		2.027				WME		Water Meter

		UP5271		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5271		9/9/25 8:33		3730'9.5797"N		797'40.2073"W		132.174		917478.47		0		UNKNOWN		30		65536		CLASSIC		OMNI PEAK		140		91.618		100		0		12		11.211		5.435		-40.22		Yes		9/9/25 8:33		RTK		30		1.11		0.62		0.92		8930		-1339		Yes		RTK		3D		1.4		137		0.512		0.433		0.394		1.341				WME		Water Meter

		UP5272		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5272		9/9/25 8:34		3730'9.2524"N		797'40.5596"W		43.659		917522.128		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		95.429		100		-11		12		15.859		1.449		84.33		Yes		9/9/25 8:34		RTK		30		1.22		0.68		1.01		8911		-1339		Yes		RTK		3D		0.8		137		2.522		1.388		0.787		5.758				WME		Water Meter

		UP5273		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5273		9/9/25 8:35		3730'9.9188"N		797'39.8779"W		87.066		917609.195		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		14.433		100		-4		11		12.422		2.447		-8.886		Yes		9/9/25 8:35		RTK		31		1.1		0.61		0.91		8956		-1339		Yes		RTK		3D		1.4		137		0.591		0.472		0.394		1.513				WME		Water Meter

		UP5274		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5274		9/9/25 8:40		3730'7.2714"N		797'38.3607"W		295.031		917904.226		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		88.847		100		5		9		16.193		1.465		35.409		Yes		9/9/25 8:40		RTK		31		1.2		0.68		0.99		8839		-1339		Yes		RTK		3D		1.2		137		4.63		3.034		1.22		11.071				WME		Water Meter

		UP5275		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5275		9/9/25 8:42		3730'6.0635"N		797'38.0459"W		125.133		918029.359		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		100		100		0		10		12.23		0.035		-29.845		Yes		9/9/25 8:42		RTK		31		1.15		0.67		0.93		8717		-1339		Yes		RTK		3D		1.2		137		0.551		0.433		0.394		1.402				WME		Water Meter

		UP5276		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5276		9/9/25 8:44		3730'4.6240"N		797'39.3389"W		179.329		918208.687		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		100		100		4		8		8.757		0.244		-13.774		Yes		9/9/25 8:44		RTK		28		1.18		0.67		0.97		8490		-1339		Yes		RTK		3D		0.6		137		2.207		0.759		0.945		4.668				WME		Water Meter

		UP5277		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5277		9/9/25 8:46		3730'2.2348"N		797'37.0263"W		305.608		918514.295		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		2		10		15.587		2.99		-55.644		Yes		9/9/25 8:46		RTK		29		1.13		0.66		0.92		8370		-1339		Yes		RTK		3D		1.4		137		2.058		1.05		0.709		4.62				WME		Water Meter

		UP5278		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5278		9/9/25 8:50		3730'6.0923"N		797'37.1000"W		391.399		918905.694		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		80.763		100		0		10		12.943		-0.051		21.774		Yes		9/9/25 8:50		RTK		31		1.01		0.58		0.82		8793		-1339		Yes		RTK		3D		1		137		1.774		0.672		0.63		3.794				WME		Water Meter

		UP5279		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5279		9/9/25 8:51		3730'5.8844"N		797'36.8705"W		28.041		918933.735		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		100		100		-8		10		12.673		-1.967		-79.067		Yes		9/9/25 8:51		RTK		31		1.07		0.63		0.87		8770		-1339		Yes		RTK		3D		1.2		137		0.512		0.354		0.394		1.245				WME		Water Meter

		UP5280		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5280		9/9/25 8:53		3730'5.6256"N		797'36.4551"W		42.51		918976.246		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		30.357		100		7		9		12.454		-0.056		-8.959		Yes		9/9/25 8:53		RTK		31		1.01		0.58		0.83		8732		-1339		Yes		RTK		3D		0.6		137		1.64		0.672		0.63		3.545				WME		Water Meter

		UP5281		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5281		9/9/25 8:55		3730'5.5846"N		797'35.8034"W		52.619		919028.864		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		84.532		100		-16		11		14.439		-3.67		-30.932		Yes		9/9/25 8:55		RTK		31		0.98		0.56		0.8		8711		-1339		Yes		RTK		3D		1.4		137		1.05		0.85		0.591		2.702				WME		Water Meter

		UP5282		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5282		9/9/25 8:59		3730'7.5451"N		797'36.6089"W		209.197		919238.061		0		UNKNOWN		36		65536		CLASSIC		OMNI PEAK		140		100		100		-2		12		13.842		-2.34		-19.298		Yes		9/9/25 8:59		RTK		31		1.06		0.6		0.87		8989		-1339		Yes		RTK		3D		0.6		137		1.913		1.388		0.748		4.728				WME		Water Meter

		UP5283		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5283		9/9/25 9:00		3730'7.7996"N		797'36.3045"W		35.595		919273.656		0		UNKNOWN		23		65536		CLASSIC		OMNI PEAK		140		78.588		100		-30		10		17.079		2.273		-80.556		Yes		9/9/25 9:00		RTK		30		1.06		0.6		0.87		9028		-1339		Yes		RTK		3D		1		137		1.27		0.672		0.591		2.874				WME		Water Meter

		UP5284		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5284		9/9/25 9:00		3730'8.1948"N		797'35.8405"W		54.794		919328.449		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		29.283		100		0		12		12.492		2.895		62.794		Yes		9/9/25 9:00		RTK		31		1.03		0.59		0.85		9084		-1339		Yes		RTK		3D		0.6		137		0.672		0.433		0.433		1.599				WME		Water Meter

		UP5285		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5285		9/9/25 9:02		3730'7.7691"N		797'33.2706"W		211.298		919539.747		0		UNKNOWN		17		65536		CLASSIC		OMNI PEAK		140		55.333		100		0		13		14.806		0.198		-62.006		Yes		9/9/25 9:02		RTK		30		0.96		0.56		0.78		8979		-1339		Yes		RTK		3D		0.6		137		0.672		0.591		0.433		1.789				WME		Water Meter

		UP5286		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5286		9/9/25 9:06		3730'6.1349"N		797'32.1627"W		188.242		919727.99		0		UNKNOWN		15		65536		CLASSIC		OMNI PEAK		140		85.411		100		-5		11		12.793		-0.081		-30.15		Yes		9/9/25 9:06		FLOAT RTK		31		1.01		0.58		0.83		8892		-1339		Yes		FLOAT RTK		3D		1.4		137		3.497		3.313		0.551		9.634				WME		Water Meter

		UP5287		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5287		9/9/25 9:07		3730'5.9990"N		797'32.2268"W		14.722		919742.712		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		100		100		-3		11		14.771		-1.581		85.366		Yes		9/9/25 9:07		RTK		31		1.09		0.62		0.9		8893		-1339		Yes		RTK		3D		1		137		0.433		0.35		0.394		1.114				WME		Water Meter

		UP5288		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5288		9/9/25 9:14		3730'7.0308"N		797'31.3522"W		126.142		919868.854		0		UNKNOWN		24		65536		CLASSIC		OMNI PEAK		140		100		100		-3		5		21.018		1.303		82.142		Yes		9/9/25 9:14		RTK		32		0.95		0.55		0.78		8989		-1339		Yes		RTK		3D		0.6		137		0.672		0.591		0.551		1.789				WME		Water Meter

		UP5289		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5289		9/9/25 9:19		3730'9.4697"N		797'34.6260"W		361.449		920230.303		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		44.396		100		-12		8		18.818		3.086		-15.567		Yes		9/9/25 9:19		RTK		32		1.03		0.58		0.84		9153		-1339		Yes		RTK		3D		1		137		0.472		0.433		0.394		1.282				WME		Water Meter

		UP5290		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5290		9/9/25 9:21		3730'10.1174"N		797'34.5659"W		65.893		920296.196		0		UNKNOWN		33		65536		CLASSIC		OMNI PEAK		140		100		100		-1		8		15.873		-3.298		59.83		Yes		9/9/25 9:21		FLOAT RTK		31		1		0.58		0.81		9210		-1339		Yes		FLOAT RTK		3D		1.4		137		2.945		2.393		0.433		7.589				WME		Water Meter

		UP5291		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5291		9/9/25 9:23		3730'10.7208"N		797'33.9404"W		79.255		920375.45		0		UNKNOWN		10		65536		CLASSIC		OMNI PEAK		140		100		100		0		11		13.977		0.641		-65.414		Yes		9/9/25 9:23		RTK		32		1.04		0.59		0.86		9253		-1339		Yes		RTK		3D		0.8		137		1.157		1.05		0.63		3.125				WME		Water Meter

		UP5292		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5292		9/9/25 9:24		3730'11.9151"N		797'32.7743"W		153.257		920528.708		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		100		100		-7		9		9.708		-1.392		34.002		Yes		9/9/25 9:25		RTK		31		1.09		0.6		0.91		9366		-1339		Yes		RTK		3D		1.6		137		0.948		0.85		0.669		2.546				WME		Water Meter

		UP5293		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5293		9/9/25 9:25		3730'11.8444"N		797'32.8296"W		8.443		920537.151		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		25.219		100		-15		9		10.982		-5.996		-43.784		Yes		9/9/25 9:25		RTK		31		1.09		0.6		0.91		9356		-1339		Yes		RTK		3D		1.6		137		1.157		0.85		0.709		2.873				WME		Water Meter

		UP5294		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5294		9/9/25 9:31		3729'56.4391"N		797'42.7431"W		1754.767		922291.919		0		UNKNOWN		36		65536		CLASSIC		OMNI PEAK		140		71.045		100		0		9		17.952		-6.249		76.869		Yes		9/9/25 9:31		RTK		31		1.27		0.65		1.09		8814		-1339		Yes		RTK		3D		0.8		137		0.591		0.472		0.512		1.513				WME		Water Meter

		UP5295		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5295		9/9/25 9:34		3729'55.5125"N		797'42.5358"W		95.474		922387.392		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		100		100		-9		6		15.039		-1.17		43.196		Yes		9/9/25 9:34		RTK		31		1.27		0.65		1.09		8848		-1339		Yes		RTK		3D		0.8		137		0.591		0.472		0.472		1.513				WME		Water Meter

		UP5296		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5296		9/9/25 9:36		3729'56.1173"N		797'41.6899"W		91.659		922479.051		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		100		100		-3		10		15.78		1.498		20.502		Yes		9/9/25 9:36		FLOAT RTK		31		1.27		0.64		1.09		8974		-1339		Yes		FLOAT RTK		3D		1.2		137		5.706		4.601		0.945		14.66				WME		Water Meter

		UP5297		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5297		9/9/25 9:38		3729'57.1292"N		797'41.4321"W		104.737		922583.787		0		UNKNOWN		22		65536		CLASSIC		OMNI PEAK		140		95.293		100		-7		8		11.825		-0.628		48.886		Yes		9/9/25 9:38		RTK		31		1.13		0.61		0.95		8965		-1339		Yes		RTK		3D		1.2		137		1.157		0.591		0.63		2.599				WME		Water Meter

		UP5298		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5298		9/9/25 9:40		3729'57.7634"N		797'40.3499"W		108.292		922692.08		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		37.735		100		0		11		14.61		-3.08		-6.752		Yes		9/9/25 9:40		RTK		30		1.13		0.61		0.95		9024		-1339		Yes		RTK		3D		1.2		137		0.672		0.472		0.472		1.643				WME		Water Meter

		UP5299		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5299		9/9/25 9:41		3729'58.1782"N		797'39.9844"W		51.347		922743.427		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		3		10		17.54		-3.482		-7.407		Yes		9/9/25 9:41		RTK		29		1.13		0.61		0.95		9009		-1339		Yes		RTK		3D		6		137		0.759		0.512		0.472		1.83				WME		Water Meter

		UP5300		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5300		9/9/25 9:41		3729'57.1965"N		797'40.7313"W		116.339		922859.766		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		10.621		100		11		4		16.584		4.644		-58.868		Yes		9/9/25 9:41		RTK		29		1.13		0.6		0.95		9039		-1339		Yes		RTK		3D		1.8		137		1.157		0.672		0.591		2.677				WME		Water Meter

		UP5301		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5301		9/9/25 9:43		3729'58.7097"N		797'39.7838"W		171.411		923031.178		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		100		11		11		10.129		3.798		80.366		Yes		9/9/25 9:43		RTK		29		1.13		0.6		0.95		8969		-1339		Yes		RTK		3D		3		137		1.913		1.05		0.866		4.365				WME		Water Meter

		UP5302		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5302		9/9/25 9:43		3729'58.7178"N		797'39.7551"W		2.457		923033.635		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		11.219		100		-96		9		11.758		-4.126		36.95		Yes		9/9/25 9:43		RTK		29		1.15		0.64		0.96		8965		-1339		Yes		RTK		3D		8		137		1.774		0.948		0.669		4.023				WME		Water Meter

		UP5303		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5303		9/9/25 9:52		3729'54.6128"N		797'41.3934"W		436.839		923470.474		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		60.944		100		3		9		15.762		2.036		-30.98		Yes		9/9/25 9:52		RTK		30		1.08		0.58		0.91		8924		-1339		Yes		RTK		3D		4.6		137		1.774		1.27		0.827		4.364				WME		Water Meter

		UP5304		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5304		9/9/25 9:53		3729'54.3109"N		797'40.5461"W		74.754		923545.228		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		100		100		-3		12		14.137		-4.3		-21.097		Yes		9/9/25 9:53		RTK		29		1.13		0.6		0.96		9033		-1339		Yes		RTK		3D		1.6		137		1.05		0.948		0.551		2.828				WME		Water Meter

		UP5305		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5305		9/9/25 9:54		3729'52.2134"N		797'40.0829"W		216.042		923761.27		0		UNKNOWN		54		65536		CLASSIC		OMNI PEAK		140		100		100		10		12		11.598		-0.066		-21.044		Yes		9/9/25 9:55		FLOAT RTK		30		1.13		0.6		0.96		9270		-1339		Yes		FLOAT RTK		3D		3		137		46.014		33.13		7.48		113.399				WME		Water Meter

		UP5306		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5306		9/9/25 9:57		3729'50.7707"N		797'39.5962"W		151.51		923912.78		0		UNKNOWN		17		65536		CLASSIC		OMNI PEAK		140		91.478		100		3		11		10.179		-0.215		-25.817		Yes		9/9/25 9:57		RTK		30		1.13		0.6		0.96		9362		-1339		Yes		RTK		3D		1.8		137		0.759		0.551		0.512		1.875				WME		Water Meter

		UP5307		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5307		9/9/25 10:00		3729'50.6757"N		797'38.9969"W		49.184		923961.964		0		UNKNOWN		508		65536		CLASSIC		OMNI PEAK		140		61.549		100		0		11		13.635		0.807		34.409		Yes		9/9/25 10:00		RTK		31		1.27		0.62		1.11		9465		-1339		Yes		RTK		3D		1.8		137		0.759		0.433		0.472		1.747				WME		Water Meter

		UP5308		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5308		9/9/25 10:00		3729'50.6621"N		797'38.9946"W		1.397		923963.361		0		UNKNOWN		17		65536		CLASSIC		OMNI PEAK		140		100		100		-1		12		10.382		1.025		-12.298		Yes		9/9/25 10:00		RTK		31		1.27		0.62		1.11		9466		-1339		Yes		RTK		3D		0.6		137		0.759		0.433		0.433		1.747				WME		Water Meter

		UP5309		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5309		9/9/25 10:02		3729'49.7358"N		797'39.5792"W		105.089		924068.45		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		20.095		100		-10		4		9.539		-1.314		-33.174		Yes		9/9/25 10:02		RTK		29		1.27		0.62		1.11		9468		-1339		Yes		RTK		3D		1.4		137		1.388		1.157		0.787		3.615				WME		Water Meter

		UP5310		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5310		9/9/25 10:03		3729'49.1660"N		797'39.3758"W		60.084		924128.534		0		UNKNOWN		154		65536		CLASSIC		OMNI PEAK		140		37.795		100		11		10		8.68		-0.632		-37.086		Yes		9/9/25 10:03		RTK		31		1.26		0.62		1.1		9565		-1339		Yes		RTK		3D		0.8		137		2.858		1.512		0.866		6.467				WME		Water Meter

		UP5311		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5311		9/9/25 10:03		3729'49.2513"N		797'39.7004"W		27.524		924156.058		0		UNKNOWN		41		65536		CLASSIC		OMNI PEAK		140		60.341		100		1		11		7.328		2.144		47.154		Yes		9/9/25 10:03		RTK		30		1.14		0.58		0.98		9519		-1339		Yes		RTK		3D		1.4		137		0.85		0.672		0.512		2.168				WME		Water Meter

		UP5312		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5312		9/9/25 10:06		3729'49.0176"N		797'41.6659"W		159.972		924316.03		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		4		11		13.505		-0.857		-24.93		Yes		9/9/25 10:06		RTK		31		1.21		0.6		1.05		9638		-1339		Yes		RTK		3D		1		137		0.672		0.591		0.472		1.789				WME		Water Meter

		UP5313		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5313		9/9/25 10:06		3729'48.9866"N		797'41.5370"W		10.842		924326.872		0		UNKNOWN		79		65536		CLASSIC		OMNI PEAK		140		84.842		100		0		8		9.107		-2.03		-46.417		Yes		9/9/25 10:06		RTK		31		1.09		0.56		0.94		9637		-1339		Yes		RTK		3D		1		137		0.948		0.512		0.472		2.154				WME		Water Meter

		UP5314		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5314		9/9/25 10:06		3729'48.9743"N		797'41.5105"W		2.469		924329.341		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		37.89		100		-18		9		9.642		0.157		-3.893		Yes		9/9/25 10:06		RTK		31		1.09		0.56		0.94		9636		-1339		Yes		RTK		3D		0.6		137		0.591		0.433		0.394		1.465				WME		Water Meter

		UP5315		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5315		9/9/25 10:07		3729'49.8974"N		797'43.4069"W		179.073		924508.414		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		84.623		100		10		8		11.644		-3.899		-32.513		Yes		9/9/25 10:07		RTK		30		1.09		0.56		0.94		9549		-1339		Yes		RTK		3D		1.6		137		0.85		0.551		0.472		2.027				WME		Water Meter

		UP5316		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5316		9/9/25 10:08		3729'50.1327"N		797'44.4740"W		89.149		924597.563		0		UNKNOWN		10		65536		CLASSIC		OMNI PEAK		140		100		100		-2		4		12.872		-1.115		-37.297		Yes		9/9/25 10:08		RTK		30		1.09		0.56		0.94		9463		-1339		Yes		RTK		3D		1		137		1.05		0.948		0.63		2.828				WME		Water Meter

		UP5317		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5317		9/9/25 10:09		3729'50.7796"N		797'45.3241"W		94.804		924692.366		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		7.9		100		7		8		9.538		-3.033		52.489		Yes		9/9/25 10:09		FLOAT RTK		31		1.09		0.56		0.94		9354		-1339		Yes		FLOAT RTK		3D		0.8		137		4.969		3.681		0.787		12.369				WME		Water Meter

		UP5318		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5318		9/9/25 10:10		3729'50.4908"N		797'45.9625"W		59.151		924751.517		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		100		100		0		11		8.887		2.955		-0.027		Yes		9/9/25 10:10		RTK		31		1.1		0.56		0.95		9349		-1339		Yes		RTK		3D		1.6		137		0.591		0.551		0.433		1.616				WME		Water Meter

		UP5319		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5319		9/9/25 10:11		3729'51.1112"N		797'46.6214"W		82.309		924833.826		0		UNKNOWN		55		65536		CLASSIC		OMNI PEAK		140		34.357		100		13		4		14.452		0.529		-13.831		Yes		9/9/25 10:11		FLOAT RTK		31		1.1		0.56		0.95		9285		-1339		Yes		FLOAT RTK		3D		0.6		137		7.178		6.074		1.299		18.806				WME		Water Meter

		UP5320		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5320		9/9/25 10:15		3729'48.2015"N		797'39.7369"W		627.853		925461.679		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		31.358		100		24		8		8.442		0.793		40.776		Yes		9/9/25 10:15		RTK		31		1.14		0.57		0.99		9589		-1339		Yes		RTK		3D		1.4		137		0.759		0.472		0.433		1.787				WME		Water Meter

		UP5321		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5321		9/9/25 10:16		3729'48.6289"N		797'38.7707"W		89.039		925550.717		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		100		0		8		10.043		-0.706		35.907		Yes		9/9/25 10:16		RTK		31		1.2		0.6		1.04		9602		-1339		Yes		RTK		3D		1.2		137		1.388		0.512		0.591		2.96				WME		Water Meter

		UP5322		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5322		9/9/25 10:16		3729'48.0699"N		797'38.4068"W		63.829		925614.546		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		22.085		100		0		13		8.539		1.185		-58.229		Yes		9/9/25 10:16		RTK		31		1.2		0.6		1.03		9592		-1339		Yes		RTK		3D		0.6		137		0.512		0.433		0.394		1.341				WME		Water Meter

		UP5323		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5323		9/9/25 10:17		3729'48.4580"N		797'38.1835"W		43.284		925657.83		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		29.725		100		-1		12		14.768		-0.927		-35.924		Yes		9/9/25 10:17		RTK		31		1.15		0.57		0.99		9622		-1339		Yes		RTK		3D		1		137		0.85		0.759		0.591		2.279				WME		Water Meter

		UP5324		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5324		9/9/25 10:18		3729'47.6496"N		797'36.8761"W		133.419		925791.248		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		100		100		0		12		9.477		-0.388		1.673		Yes		9/9/25 10:18		RTK		30		1.15		0.58		0.99		9621		-1339		Yes		RTK		3D		1.2		137		2.688		1.05		0.748		5.771				WME		Water Meter

		UP5325		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5325		9/9/25 10:19		3729'47.2398"N		797'36.4559"W		53.599		925844.847		0		UNKNOWN		80		65536		CLASSIC		OMNI PEAK		140		47.602		100		-2		8		16.23		-3.051		-33.933		Yes		9/9/25 10:19		RTK		31		1.15		0.58		1		9657		-1339		Yes		RTK		3D		0.8		137		0.551		0.472		0.394		1.452				WME		Water Meter

		UP5326		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5326		9/9/25 10:19		3729'47.1797"N		797'36.3712"W		9.145		925853.992		0		UNKNOWN		45		65536		CLASSIC		OMNI PEAK		140		62.562		100		-20		10		17.274		-0.904		8.644		Yes		9/9/25 10:19		RTK		31		1.15		0.58		1		9668		-1339		Yes		RTK		3D		0.6		137		0.512		0.472		0.394		1.393				WME		Water Meter

		UP5327		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5327		9/9/25 10:20		3729'46.7949"N		797'36.0567"W		46.522		925900.514		0		UNKNOWN		847		65536		CLASSIC		OMNI PEAK		140		26.935		100		21		8		13.526		1.158		50.895		Yes		9/9/25 10:20		RTK		30		1.1		0.57		0.95		9682		-1339		Yes		RTK		3D		1.2		137		0.551		0.472		0.394		1.452				WME		Water Meter

		UP5328		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5328		9/9/25 10:20		3729'46.6302"N		797'36.3828"W		31.118		925931.632		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		100		-3		11		11.499		1.59		76.333		Yes		9/9/25 10:20		RTK		30		1.1		0.56		0.95		9661		-1339		Yes		RTK		3D		1.4		137		0.85		0.551		0.472		2.027				WME		Water Meter

		UP5329		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5329		9/9/25 10:23		3729'45.2325"N		797'35.6601"W		153.262		926084.894		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		1.124		100		1		12		9.34		-6.81		87.218		Yes		9/9/25 10:23		RTK		31		1.1		0.55		0.95		9685		-1339		Yes		RTK		3D		0.8		137		1.157		0.394		0.512		2.445				WME		Water Meter

		UP5330		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5330		9/9/25 10:29		3729'44.5281"N		797'35.2872"W		77.514		926162.408		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		44.383		100		-30		10		12.947		-1.148		13.566		Yes		9/9/25 10:29		RTK		31		1.1		0.55		0.95		9659		-1339		Yes		RTK		3D		1		137		1.774		1.512		0.787		4.662				WME		Water Meter

		UP5331		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5331		9/9/25 10:30		3729'44.3507"N		797'35.2092"W		19.059		926181.467		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		33.295		100		0		12		8.06		-2.122		81.092		Yes		9/9/25 10:30		RTK		31		1.1		0.55		0.95		9664		-1339		Yes		RTK		3D		1.2		137		2.522		1.64		0.866		6.018				WME		Water Meter

		UP5332		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5332		9/9/25 10:30		3729'44.4221"N		797'34.6624"W		44.601		926226.068		0		UNKNOWN		612		65536		CLASSIC		OMNI PEAK		140		94.147		100		1		10		8.028		2.783		42.398		Yes		9/9/25 10:30		RTK		31		1.1		0.55		0.95		9656		-1339		Yes		RTK		3D		1.2		137		0.759		0.591		0.472		1.923				WME		Water Meter

		UP5333		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5333		9/9/25 10:31		3729'43.7192"N		797'34.7994"W		72.16		926298.228		0		UNKNOWN		10		65536		CLASSIC		OMNI PEAK		140		79.368		100		-25		8		7.078		-0.64		-41.59		Yes		9/9/25 10:31		RTK		31		1.1		0.55		0.95		9651		-1339		Yes		RTK		3D		1.4		137		1.27		0.672		0.551		2.874				WME		Water Meter

		UP5334		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5334		9/9/25 10:33		3729'42.7468"N		797'34.0482"W		115.708		926413.937		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		100		100		0		12		12.297		4.247		10.142		Yes		9/9/25 10:33		RTK		31		1.1		0.55		0.95		9666		-1339		Yes		RTK		3D		0.6		137		2.362		1.157		0.787		5.261				WME		Water Meter

		UP5335		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5335		9/9/25 10:34		3729'42.4190"N		797'33.7572"W		40.673		926454.61		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		5.581		100		0		12		10.909		-1.989		83.484		Yes		9/9/25 10:34		RTK		30		1.05		0.55		0.89		9676		-1339		Yes		RTK		3D		1.6		137		1.05		0.85		0.551		2.702				WME		Water Meter

		UP5336		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5336		9/9/25 10:39		3729'40.1688"N		797'35.3280"W		260.961		926715.57		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		140		98.054		100		0		10		10.209		0.919		87.531		Yes		9/9/25 10:39		RTK		30		1.1		0.56		0.94		9601		-1339		Yes		RTK		3D		1.4		137		1.512		1.388		0.669		4.105				WME		Water Meter

		UP5337		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5337		9/9/25 10:40		3729'38.6550"N		797'36.2864"W		171.864		926887.434		0		UNKNOWN		10		65536		CLASSIC		OMNI PEAK		140		100		100		24		11		13.191		-2.85		8.442		Yes		9/9/25 10:40		RTK		29		1.16		0.58		1.01		9696		-1339		Yes		RTK		3D		0.8		137		0.512		0.394		0.394		1.291				WME		Water Meter

		UP5338		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5338		9/9/25 10:42		3729'39.2783"N		797'37.5264"W		118.154		927005.588		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		100		11		11		11.546		-3.372		87.223		Yes		9/9/25 10:42		RTK		30		1.16		0.58		1.01		9578		-1339		Yes		RTK		3D		0.8		137		0.672		0.591		0.472		1.789				WME		Water Meter

		UP5339		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5339		9/9/25 10:42		3729'39.0291"N		797'37.7636"W		31.686		927037.274		0		UNKNOWN		36		65536		CLASSIC		OMNI PEAK		140		100		100		2		11		13.762		-0.111		43.332		Yes		9/9/25 10:42		RTK		31		1.16		0.58		1.01		9546		-1339		Yes		RTK		3D		0.6		137		1.388		1.05		0.63		3.481				WME		Water Meter

		UP5340		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5340		9/9/25 10:45		3729'40.2899"N		797'39.1858"W		171.657		927208.93		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		31.468		100		0		11		7.993		-2.431		3.4		Yes		9/9/25 10:45		RTK		30		1.16		0.58		1		9444		-1339		Yes		RTK		3D		0.4		137		0.591		0.551		0.433		1.616				WME		Water Meter

		UP5341		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5341		9/9/25 10:45		3729'39.9341"N		797'39.4599"W		42.304		927251.234		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		64.611		100		9		9		14.313		-0.35		-36.626		Yes		9/9/25 10:45		RTK		30		1.16		0.58		1		9445		-1339		Yes		RTK		3D		1.2		137		2.058		0.85		0.669		4.453				WME		Water Meter

		UP5342		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5342		9/9/25 10:46		3729'40.2447"N		797'39.2464"W		35.891		927287.125		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		100		100		-3		7		10.689		-0.824		-12.427		Yes		9/9/25 10:46		RTK		31		1.16		0.58		1		9444		-1339		Yes		RTK		3D		0.6		137		0.472		0.386		0.394		1.22				WME		Water Meter

		UP5343		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5343		9/9/25 10:51		3729'56.7251"N		797'27.9850"W		1901.842		929188.968		0		UNKNOWN		78		65536		CLASSIC		OMNI PEAK		140		93.963		100		-1		12		14.877		1.856		-69.432		Yes		9/9/25 10:51		RTK		32		1.02		0.56		0.85		8632		-1339		Yes		RTK		3D		1.6		137		3.402		1.913		0.984		7.806				WME		Water Meter

		UP5344		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5344		9/9/25 10:55		3729'37.1193"N		797'31.8354"W		2013.017		931201.985		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		100		100		0		7		15.609		-2.224		-25.482		Yes		9/9/25 10:55		RTK		32		0.96		0.53		0.8		9953		-1339		Yes		RTK		3D		1.2		137		2.207		1.913		0.866		5.842				WME		Water Meter

		UP5345		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5345		9/9/25 10:57		3729'28.8519"N		797'31.1643"W		840.465		932042.449		0		UNKNOWN		15		65536		CLASSIC		OMNI PEAK		140		97.845		100		0		12		11.465		-0.112		-43.113		Yes		9/9/25 10:57		RTK		31		0.98		0.54		0.82		10488		-1339		Yes		RTK		3D		1		137		1.512		1.157		0.669		3.808				WME		Water Meter

		UP5346		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5346		9/9/25 10:59		3729'27.6487"N		797'33.6286"W		232.913		932275.363		0		UNKNOWN		176		65536		CLASSIC		OMNI PEAK		140		90.208		100		2		10		12.852		-0.943		-22.452		Yes		9/9/25 10:59		RTK		32		0.98		0.54		0.81		10491		-1339		Yes		RTK		3D		1.4		137		1.157		0.948		0.63		2.992				WME		Water Meter

		UP5347		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5347		9/9/25 11:03		3729'27.9382"N		797'33.7809"W		31.831		932307.194		0		UNKNOWN		40		65536		CLASSIC		OMNI PEAK		140		41.697		100		1		9		10.233		1.758		-63.577		Yes		9/9/25 11:03		RTK		32		1.03		0.57		0.86		10482		-1339		Yes		RTK		3D		1.4		137		0.948		0.672		0.591		2.323				WME		Water Meter

		UP5348		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5348		9/9/25 11:05		3729'26.6181"N		797'35.3339"W		183.208		932490.401		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		25.307		100		-2		11		6.883		0.979		2.034		Yes		9/9/25 11:05		RTK		31		1.06		0.6		0.88		10438		-1339		Yes		RTK		3D		0.8		137		1.388		1.05		0.63		3.481				WME		Water Meter

		UP5349		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5349		9/9/25 11:05		3729'26.6090"N		797'35.3444"W		1.248		932491.649		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		3		10		12.904		1.634		-25.122		Yes		9/9/25 11:05		RTK		31		1.07		0.6		0.89		10436		-1339		Yes		RTK		3D		0.6		137		0.672		0.472		0.394		1.643				WME		Water Meter

		UP5350		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5350		9/9/25 11:05		3729'26.6039"N		797'35.3615"W		1.468		932493.117		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		66.096		100		11		8		11.657		-3.733		-41.542		Yes		9/9/25 11:06		RTK		31		1.03		0.57		0.86		10434		-1339		Yes		RTK		3D		4.8		137		0.85		0.759		0.472		2.279				WME		Water Meter

		UP5351		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5351		9/9/25 11:07		3729'26.6946"N		797'37.3754"W		162.37		932655.487		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		100		100		4		10		13.44		-1.436		-29.464		Yes		9/9/25 11:08		RTK		29		1.12		0.64		0.92		10387		-1339		Yes		RTK		3D		1		137		3.402		1.05		1.063		7.12				WME		Water Meter

		UP5352		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5352		9/9/25 11:09		3729'25.9229"N		797'38.4979"W		119.56		932775.047		0		UNKNOWN		14		65536		CLASSIC		OMNI PEAK		140		100		100		1		6		13.517		1.43		-49.683		Yes		9/9/25 11:09		RTK		31		1.05		0.6		0.86		10406		-1339		Yes		RTK		3D		1		137		1.157		0.759		0.551		2.768				WME		Water Meter

		UP5353		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5353		9/9/25 11:09		3729'25.8302"N		797'39.2812"W		63.748		932838.795		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		38.956		100		-15		10		12.009		-2.187		-15.491		Yes		9/9/25 11:09		RTK		31		0.94		0.54		0.77		10411		-1339		Yes		RTK		3D		0.6		137		1.512		0.672		0.669		3.309				WME		Water Meter

		UP5354		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5354		9/9/25 11:11		3729'23.7224"N		797'40.6796"W		241.659		933080.453		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		63.626		100		-16		10		8.257		0.878		6.664		Yes		9/9/25 11:11		RTK		32		0.94		0.54		0.77		10162		-1339		Yes		RTK		3D		1.4		137		0.472		0.433		0.394		1.282				WME		Water Meter

		UP5355		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5355		9/9/25 11:13		3729'22.1721"N		797'41.0666"W		160.327		933240.78		0		UNKNOWN		39		65536		CLASSIC		OMNI PEAK		140		90.133		100		-2		13		8.934		0.543		57.087		Yes		9/9/25 11:13		RTK		31		1.02		0.58		0.84		9967		-1339		Yes		RTK		3D		1.4		137		1.157		0.85		0.591		2.873				WME		Water Meter

		UP5356		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		5356		9/9/25 11:13		3729'22.5253"N		797'41.5851"W		55.008		933295.788		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		91.977		100		-1		12		7.474		-0.545		-70.328		Yes		9/9/25 11:13		DGPS SPS VALID		32		1.02		0.58		0.84		9950		-1339		Yes		DIFFERENTIAL		3D		1.4		137		7.654		6.378		7.087		19.925				WME		Water Meter

		UP5357		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5357		9/9/25 11:13		3729'22.5298"N		797'41.5816"W		0.537		933296.325		0		UNKNOWN		416		65536		CLASSIC		OMNI PEAK		140		56.776		100		8		7		11.145		0.487		-71.401		Yes		9/9/25 11:13		FLOAT RTK		32		0.94		0.54		0.76		9947		-1339		Yes		FLOAT RTK		3D		1.4		137		16.933		14.724		2.441		44.879				WME		Water Meter

		UP5358		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5358		9/9/25 11:15		3729'21.0394"N		797'42.1469"W		157.898		933454.222		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		-6		11		9.297		1.673		-37.662		Yes		9/9/25 11:15		RTK		30		1.02		0.58		0.84		9817		-1339		Yes		RTK		3D		1.4		137		0.759		0.672		0.512		2.027				WME		Water Meter

		UP5359		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5359		9/9/25 11:15		3729'21.4586"N		797'42.7096"W		62.131		933516.353		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		50.196		100		14		11		10.444		3.898		-48.45		Yes		9/9/25 11:15		RTK		30		1.02		0.58		0.84		9800		-1339		Yes		RTK		3D		1.4		137		1.27		1.05		0.63		3.296				WME		Water Meter

		UP5360		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5360		9/9/25 11:15		3729'20.5630"N		797'43.6727"W		119.435		933635.788		0		UNKNOWN		279		65536		CLASSIC		OMNI PEAK		140		86.801		100		-54		6		11.876		-2.374		43.844		Yes		9/9/25 11:15		RTK		31		1.02		0.58		0.84		9694		-1339		Yes		RTK		3D		1.2		137		1.157		0.759		0.591		2.768				WME		Water Meter

		UP5361		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5361		9/9/25 11:16		3729'19.5898"N		797'44.7134"W		129.487		933765.275		0		UNKNOWN		29		65536		CLASSIC		OMNI PEAK		140		100		100		17		7		12.663		1.222		-88.592		Yes		9/9/25 11:16		RTK		32		0.93		0.54		0.76		9541		-1339		Yes		RTK		3D		0.6		137		0.85		0.591		0.551		2.071				WME		Water Meter

		UP5362		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5362		9/9/25 11:16		3729'19.4621"N		797'44.7511"W		13.308		933778.583		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		4.219		100		-19		7		14.848		-0.517		43.991		Yes		9/9/25 11:16		RTK		31		1.03		0.59		0.84		9529		-1339		Yes		RTK		3D		1.6		137		0.551		0.472		0.394		1.452				WME		Water Meter

		UP5363		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5363		9/9/25 11:17		3729'19.0413"N		797'44.1257"W		66.009		933844.592		0		UNKNOWN		39		65536		CLASSIC		OMNI PEAK		140		100		100		0		11		11.508		1.56		-5.451		Yes		9/9/25 11:17		RTK		31		1.03		0.59		0.84		9516		-1339		Yes		RTK		3D		0.6		137		2.058		1.512		0.748		5.107				WME		Water Meter

		UP5364		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5364		9/9/25 11:17		3729'19.2772"N		797'43.5886"W		49.414		933894.006		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		0		13		9.159		-0.553		3.058		Yes		9/9/25 11:17		RTK		31		1.02		0.58		0.83		9560		-1339		Yes		RTK		3D		1.2		137		0.85		0.512		0.472		1.985				WME		Water Meter

		UP5365		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5365		9/9/25 11:18		3729'19.8672"N		797'43.1407"W		69.881		933963.888		0		UNKNOWN		18		65536		CLASSIC		OMNI PEAK		140		100		100		-28		10		9.844		0.082		-64.39		Yes		9/9/25 11:18		RTK		29		1.06		0.62		0.86		9668		-1339		Yes		RTK		3D		0.6		137		1.157		0.948		0.669		2.992				WME		Water Meter

		UP5366		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5366		9/10/25 7:41		3729'26.5625"N		797'41.1864"W		697.222		934661.11		0		UNKNOWN		2407		65536		CLASSIC		OMNI PEAK		140		7.592		100		0		10		14.185		-0.155		-10.637		Yes		9/10/25 7:41		RTK		32		1.33		0.62		1.17		10438		-1339		Yes		RTK		3D		0.8		935		0.512		0.39		0.394		1.287				WME		Water Meter

		UP5367		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5367		9/10/25 7:42		3729'27.9012"N		797'42.5555"W		174.897		934836.007		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		33.358		100		-4		12		12.528		3.121		16.39		Yes		9/10/25 7:42		RTK		32		1.06		0.53		0.92		10324		-1339		Yes		RTK		3D		1		935		0.672		0.472		0.472		1.643				WME		Water Meter

		UP5368		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5368		9/10/25 7:44		3729'32.2597"N		797'49.8390"W		734.333		935570.34		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		1.823		100		0		11		11.521		-1.049		35.855		Yes		9/10/25 7:45		RTK		31		1.2		0.58		1.05		9809		-1339		Yes		RTK		3D		1.4		935		0.85		0.512		0.472		1.985				WME		Water Meter

		UP5369		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5369		9/10/25 7:45		3729'32.2618"N		797'50.0295"W		15.337		935585.677		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		34.922		100		-4		10		9.551		0.577		24.309		Yes		9/10/25 7:45		RTK		31		1.2		0.58		1.05		9823		-1339		Yes		RTK		3D		1.4		935		0.591		0.472		0.433		1.513				WME		Water Meter

		UP5370		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5370		9/10/25 7:46		3729'32.2707"N		797'50.4565"W		34.387		935620.063		0		UNKNOWN		1610		65536		CLASSIC		OMNI PEAK		140		11.829		100		-25		9		15.038		-0.654		-80.247		Yes		9/10/25 7:46		RTK		32		1.14		0.56		0.99		9837		-1339		Yes		RTK		3D		2.2		935		0.512		0.394		0.394		1.291				WME		Water Meter

		UP5371		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5371		9/10/25 7:46		3729'32.2612"N		797'50.4217"W		2.961		935623.024		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		5.078		100		1		8		15.821		-0.236		-70.934		Yes		9/10/25 7:46		RTK		32		1.14		0.56		0.99		9835		-1339		Yes		RTK		3D		0.8		935		0.672		0.472		0.472		1.643				WME		Water Meter

		UP5372		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5372		9/10/25 7:46		3729'32.2697"N		797'50.4782"W		4.625		935627.649		0		UNKNOWN		81		65536		CLASSIC		OMNI PEAK		140		27.464		100		-5		7		15.091		-0.905		47.61		Yes		9/10/25 7:46		RTK		32		1.14		0.56		0.99		9835		-1339		Yes		RTK		3D		0.8		935		0.759		0.551		0.512		1.875				WME		Water Meter

		UP5373		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5373		9/10/25 7:48		3729'31.7496"N		797'52.2934"W		155.35		935783		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.237		100		0		10		14.254		-0.068		0.071		Yes		9/10/25 7:48		RTK		32		1.16		0.57		1.01		9850		-1339		Yes		RTK		3D		1		935		0.551		0.394		0.433		1.355				WME		Water Meter

		UP5374		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5374		9/10/25 7:48		3729'31.7607"N		797'52.8010"W		40.872		935823.871		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		140		22.611		100		-2		11		12.634		-0.981		-32.034		Yes		9/10/25 7:48		RTK		32		1.23		0.58		1.09		9853		-1339		Yes		RTK		3D		1.2		935		0.591		0.512		0.472		1.563				WME		Water Meter

		UP5375		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5375		9/10/25 7:49		3729'32.1926"N		797'55.0000"W		182.347		936006.218		0		UNKNOWN		14		65536		CLASSIC		OMNI PEAK		140		21.941		100		5		5		13.054		-1.482		61.708		Yes		9/10/25 7:49		RTK		30		1.2		0.57		1.06		9829		-1339		Yes		RTK		3D		0.6		935		0.362		0.28		0.394		0.915				WME		Water Meter

		UP5376		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5376		9/10/25 7:51		3729'31.7515"N		797'55.9495"W		88.566		936094.784		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		10.434		100		35		9		13.158		0.09		48.914		Yes		9/10/25 7:51		RTK		29		1.21		0.58		1.06		9851		-1339		Yes		RTK		3D		1		935		0.551		0.433		0.433		1.402				WME		Water Meter

		UP5377		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5377		9/10/25 7:51		3729'32.3244"N		797'56.6878"W		83.135		936177.919		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		14.296		100		-14		13		12.055		0.457		3.615		Yes		9/10/25 7:51		RTK		31		1.21		0.58		1.06		9865		-1339		Yes		RTK		3D		1.6		935		0.472		0.331		0.394		1.153				WME		Water Meter

		UP5378		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5378		9/10/25 7:52		3729'32.4935"N		797'57.8592"W		95.834		936273.753		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		37.73		100		-2		12		13.992		1.41		1.387		Yes		9/10/25 7:52		RTK		31		1.2		0.57		1.06		9930		-1339		Yes		RTK		3D		1.6		935		0.512		0.433		0.394		1.341				WME		Water Meter

		UP5379		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5379		9/10/25 7:53		3729'31.9681"N		797'57.2659"W		71.569		936345.322		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		16		100		0		13		17.357		0.911		74.954		Yes		9/10/25 7:53		RTK		31		1.2		0.56		1.06		9898		-1339		Yes		RTK		3D		1.6		935		0.591		0.472		0.394		1.513				WME		Water Meter

		UP5380		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5380		9/10/25 7:55		3729'32.7172"N		797'57.8433"W		89.082		936434.404		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		29.864		100		0		9		10.565		2.134		4.848		Yes		9/10/25 7:55		RTK		31		1.2		0.56		1.06		9924		-1339		Yes		RTK		3D		1.6		935		0.433		0.433		0.394		1.225				WME		Water Meter

		UP5381		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5381		9/10/25 7:56		3729'32.8254"N		797'57.8052"W		11.396		936445.801		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		23.474		100		1		10		14.756		1.958		45.685		Yes		9/10/25 7:56		RTK		29		1.21		0.57		1.06		9918		-1339		Yes		RTK		3D		0.8		935		0.948		0.551		0.551		2.192				WME		Water Meter

		UP5382		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5382		9/10/25 7:56		3729'32.8105"N		797'57.8141"W		1.664		936447.464		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		23.242		100		-14		8		14.759		-1.17		-44.598		Yes		9/10/25 7:56		RTK		31		1.2		0.56		1.06		9922		-1339		Yes		RTK		3D		2		935		0.591		0.551		0.472		1.616				WME		Water Meter

		UP5383		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5383		9/10/25 8:03		3729'23.4213"N		797'26.9507"W		2660.717		939108.181		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		7.385		100		0		14		12.135		1.336		-77.946		Yes		9/10/25 8:03		RTK		31		1.22		0.56		1.08		10333		-1339		Yes		RTK		3D		1		935		1.388		1.05		0.748		3.481				WME		Water Meter

		UP5384		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5384		9/10/25 8:04		3729'22.2808"N		797'26.0822"W		135.186		939243.367		0		UNKNOWN		76		65536		CLASSIC		OMNI PEAK		140		5.037		100		-7		3		14.196		5.339		22.471		Yes		9/10/25 8:04		RTK		30		1.21		0.56		1.08		10440		-1339		Yes		RTK		3D		0.8		935		0.591		0.472		0.433		1.513				WME		Water Meter

		UP5385		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5385		9/10/25 8:06		3729'20.7288"N		797'24.8928"W		184.276		939427.643		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		1.368		100		-12		10		14.052		-3.761		-58.476		Yes		9/10/25 8:06		RTK		29		1.21		0.56		1.07		10589		-1339		Yes		RTK		3D		0.6		935		0.672		0.433		0.394		1.599				WME		Water Meter

		UP5386		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5386		9/10/25 8:06		3729'20.7032"N		797'24.8874"W		2.627		939430.27		0		UNKNOWN		366		65536		CLASSIC		OMNI PEAK		140		3.686		100		7		11		13.96		4.812		78.307		Yes		9/10/25 8:06		RTK		29		1.21		0.56		1.07		10590		-1339		Yes		RTK		3D		1.4		935		0.551		0.512		0.472		1.504				WME		Water Meter

		UP5387		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5387		9/10/25 8:08		3729'17.6932"N		797'22.7716"W		349.658		939779.928		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		4.508		100		1		12		13.519		3.504		-71.813		Yes		9/10/25 8:08		RTK		31		1.13		0.54		1		10663		-1339		Yes		RTK		3D		1.4		935		0.551		0.472		0.472		1.452				WME		Water Meter

		UP5388		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5388		9/10/25 8:10		3729'11.4583"N		797'24.8715"W		654.724		940434.652		0		UNKNOWN		89		65536		CLASSIC		OMNI PEAK		140		20.92		100		-2		9		20.941		-0.161		-49.153		Yes		9/10/25 8:10		RTK		31		1.13		0.54		0.99		10274		-1339		Yes		RTK		3D		1.2		935		0.394		0.35		0.394		1.054				WME		Water Meter

		UP5389		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5389		9/10/25 8:10		3729'11.4703"N		797'24.8548"W		1.806		940436.457		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		12.278		100		-1		11		18.733		0.934		66.802		Yes		9/10/25 8:10		RTK		31		1.13		0.54		0.99		10276		-1339		Yes		RTK		3D		0.8		935		0.759		0.472		0.472		1.787				WME		Water Meter

		UP5390		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5390		9/10/25 8:10		3729'11.4802"N		797'24.8452"W		1.276		940437.733		0		UNKNOWN		240		65536		CLASSIC		OMNI PEAK		140		14.109		100		1		10		20.331		-0.633		58.562		Yes		9/10/25 8:10		RTK		31		1.13		0.54		0.99		10276		-1339		Yes		RTK		3D		4.4		935		0.591		0.512		0.433		1.563				WME		Water Meter

		UP5391		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5391		9/10/25 8:11		3729'11.4912"N		797'24.8357"W		1.351		940439.084		0		UNKNOWN		31		65536		CLASSIC		OMNI PEAK		140		25.571		100		8		7		21.386		-1.639		59.963		Yes		9/10/25 8:11		RTK		31		1.13		0.54		0.99		10276		-1339		Yes		RTK		3D		7.8		935		0.551		0.512		0.433		1.504				WME		Water Meter

		UP5392		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5392		9/10/25 8:16		3728'29.1688"N		796'20.1424"W		0		940439.084		0		UNKNOWN		15		65536		CLASSIC		OMNI PEAK		140		15.566		100		-7		9		20.184		-0.19		-21.556		Yes		9/10/25 8:16		RTK		32		1.08		0.52		0.94		10334		-1339		Yes		RTK		3D		1		935		0.551		0.394		0.394		1.355				WME		Water Meter

		UP5393		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5393		9/10/25 8:16		3728'29.0751"N		796'21.2067"W		86.211		940525.295		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		35.202		100		3		13		5.846		-0.818		18.32		Yes		9/10/25 8:16		RTK		31		1.08		0.52		0.94		10341		-1339		Yes		RTK		3D		1.8		935		0.512		0.433		0.394		1.341				WME		Water Meter

		UP5394		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5394		9/10/25 8:18		3728'29.4026"N		796'18.1394"W		249.177		940774.472		0		UNKNOWN		22		65536		CLASSIC		OMNI PEAK		140		16.3		100		3		7		14.762		1.985		-3.927		Yes		9/10/25 8:18		RTK		32		1.07		0.52		0.93		10358		-1339		Yes		RTK		3D		0.8		935		0.672		0.472		0.512		1.643				WME		Water Meter

		UP5395		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5395		9/10/25 8:20		3728'29.7074"N		796'15.2198"W		237.093		941011.565		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		3.783		100		-15		5		5.934		-4.624		39.171		Yes		9/10/25 8:20		RTK		32		1.06		0.52		0.93		10379		-1339		Yes		RTK		3D		0.6		935		0.433		0.35		0.394		1.114				WME		Water Meter

		UP5396		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5396		9/10/25 8:22		3728'29.7945"N		796'14.0177"W		97.187		941108.753		0		UNKNOWN		58		65536		CLASSIC		OMNI PEAK		140		9.611		100		8		4		9.702		-1.239		-41.955		Yes		9/10/25 8:22		RTK		31		1.1		0.53		0.97		10390		-1339		Yes		RTK		3D		1.6		935		0.512		0.472		0.433		1.393				WME		Water Meter

		UP5397		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5397		9/10/25 8:22		3728'29.7847"N		796'14.0005"W		1.699		941110.452		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		5.071		100		18		9		14.748		-2.842		-40.431		Yes		9/10/25 8:22		RTK		30		1.1		0.53		0.97		10392		-1339		Yes		RTK		3D		1		935		0.512		0.433		0.394		1.341				WME		Water Meter

		UP5398		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5398		9/10/25 8:22		3728'29.7774"N		796'13.9758"W		2.122		941112.574		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		6.789		100		-4		10		15.097		-0.912		-23.132		Yes		9/10/25 8:22		RTK		29		1.1		0.53		0.97		10393		-1339		Yes		RTK		3D		0.4		935		0.759		0.512		0.512		1.83				WME		Water Meter

		UP5399		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5399		9/10/25 8:23		3728'29.8244"N		796'13.6118"W		29.698		941142.273		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		7.472		100		0		11		14.747		-2.564		88.129		Yes		9/10/25 8:23		RTK		30		1.1		0.53		0.97		10398		-1339		Yes		RTK		3D		0.6		935		0.759		0.551		0.512		1.875				WME		Water Meter

		UP5400		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5400		9/10/25 8:24		3728'29.8773"N		796'13.2161"W		32.306		941174.579		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		22.538		100		2		11		11.596		-0.95		16.878		Yes		9/10/25 8:24		RTK		31		1.1		0.53		0.96		10381		-1339		Yes		RTK		3D		1.4		935		1.388		1.157		0.748		3.615				WME		Water Meter

		UP5401		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5401		9/10/25 8:26		3728'30.3418"N		796'11.0297"W		182.233		941356.812		0		UNKNOWN		1619		65536		CLASSIC		OMNI PEAK		140		1.51		100		-63		6		13.315		0.299		34.246		Yes		9/10/25 8:26		RTK		31		1.1		0.53		0.96		10322		-1339		Yes		RTK		3D		0.8		935		0.512		0.472		0.394		1.393				WME		Water Meter

		UP5402		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5402		9/10/25 8:28		3728'30.6199"N		796'8.5513"W		201.526		941558.338		0		UNKNOWN		213		65536		CLASSIC		OMNI PEAK		140		8.699		100		4		10		13.742		0.485		51.07		Yes		9/10/25 8:28		RTK		30		1.1		0.54		0.95		10348		-1339		Yes		RTK		3D		1		935		0.433		0.386		0.394		1.16				WME		Water Meter

		UP5403		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5403		9/10/25 8:31		3728'31.5192"N		796'5.1038"W		292.175		941850.513		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		30.515		100		-2		6		13.771		0.608		-84.798		Yes		9/10/25 8:31		RTK		31		1.08		0.53		0.94		10336		-1339		Yes		RTK		3D		0.8		935		0.394		0.394		0.394		1.114				WME		Water Meter

		UP5404		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5404		9/10/25 8:33		3728'31.6131"N		796'4.5236"W		47.675		941898.188		0		UNKNOWN		31		65536		CLASSIC		OMNI PEAK		140		15.756		100		3		9		14.656		-0.16		-82.617		Yes		9/10/25 8:33		RTK		31		1.07		0.53		0.93		10335		-1339		Yes		RTK		3D		1.2		935		0.512		0.433		0.394		1.341				WME		Water Meter

		UP5405		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5405		9/10/25 8:35		3728'31.4680"N		796'1.1245"W		274.063		942172.251		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		14.74		100		-2		7		9.446		-0.423		-68.84		Yes		9/10/25 8:35		RTK		31		1.06		0.53		0.92		10364		-1339		Yes		RTK		3D		1		935		0.394		0.291		0.394		0.98				WME		Water Meter

		UP5406		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5406		9/10/25 8:36		3728'31.1323"N		795'59.8532"W		107.877		942280.128		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		17.343		100		5		12		13.467		-0.417		12.552		Yes		9/10/25 8:36		RTK		31		1.06		0.53		0.92		10323		-1339		Yes		RTK		3D		1		935		0.551		0.433		0.394		1.402				WME		Water Meter

		UP5407		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5407		9/10/25 8:36		3728'30.7372"N		795'58.5391"W		113.134		942393.262		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		6.306		100		-9		10		11.179		-0.727		35.422		Yes		9/10/25 8:37		RTK		31		1.06		0.53		0.91		10267		-1339		Yes		RTK		3D		0.6		935		0.948		0.551		0.551		2.192				WME		Water Meter

		UP5408		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5408		9/10/25 8:37		3728'30.6752"N		795'58.4522"W		9.41		942402.672		0		UNKNOWN		9977		65536		CLASSIC		OMNI PEAK		140		2.298		100		0		12		12.418		1.781		-6.423		Yes		9/10/25 8:37		RTK		31		1.06		0.53		0.91		10263		-1339		Yes		RTK		3D		0.4		935		0.354		0.335		0.394		0.975				WME		Water Meter

		UP5409		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5409		9/10/25 8:38		3728'30.2054"N		795'57.0172"W		124.981		942527.653		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		1.659		100		0		12		11.19		1.516		87.815		Yes		9/10/25 8:38		RTK		32		1.05		0.53		0.91		10200		-1339		Yes		RTK		3D		1.2		935		0.374		0.276		0.394		0.929				WME		Water Meter

		UP5410		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5410		9/10/25 8:39		3728'29.8011"N		795'55.7835"W		107.462		942635.115		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		4.413		100		-1		6		14.911		-0.944		-73.475		Yes		9/10/25 8:39		RTK		32		1.04		0.53		0.9		10168		-1339		Yes		RTK		3D		1		935		0.672		0.512		0.472		1.689				WME		Water Meter

		UP5411		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5411		9/10/25 8:40		3728'29.5628"N		795'54.5653"W		101.022		942736.137		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		5.021		100		-1		12		15.181		2.525		85.106		Yes		9/10/25 8:40		RTK		32		1.04		0.53		0.89		10145		-1339		Yes		RTK		3D		1		935		0.394		0.394		0.394		1.114				WME		Water Meter

		UP5412		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5412		9/10/25 8:41		3728'29.3955"N		795'53.6534"W		75.352		942811.49		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		5.723		100		-2		11		11.409		2.896		-76.972		Yes		9/10/25 8:41		RTK		32		1.04		0.53		0.89		10145		-1339		Yes		RTK		3D		1.4		935		0.433		0.433		0.394		1.225				WME		Water Meter

		UP5413		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5413		9/10/25 8:42		3728'29.5156"N		795'50.9416"W		218.676		943030.166		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		17.497		100		0		11		12.058		2.912		-77.987		Yes		9/10/25 8:42		RTK		31		0.98		0.52		0.83		10075		-1339		Yes		RTK		3D		1		935		0.672		0.551		0.394		1.738				WME		Water Meter

		UP5414		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5414		9/10/25 8:48		3728'29.8040"N		795'49.1434"W		147.705		943177.871		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		100		100		11		12		12.904		-2.133		-15.917		Yes		9/10/25 8:48		RTK		32		0.93		0.51		0.78		10006		-1339		Yes		RTK		3D		1		935		0.472		0.394		0.394		1.23				WME		Water Meter

		UP5415		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5415		9/10/25 8:49		3728'30.0037"N		795'47.9774"W		96.042		943273.913		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		100		100		-11		11		15.499		-0.899		-20.321		Yes		9/10/25 8:49		RTK		32		0.93		0.51		0.78		9956		-1339		Yes		RTK		3D		0.8		935		0.433		0.382		0.394		1.155				WME		Water Meter

		UP5416		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5416		9/10/25 8:50		3728'30.4849"N		795'46.6726"W		115.838		943389.751		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		100		100		-1		10		11.539		-0.502		-50.711		Yes		9/10/25 8:50		RTK		32		0.93		0.51		0.77		9871		-1339		Yes		RTK		3D		1.2		935		1.157		0.672		0.591		2.677				WME		Water Meter

		UP5417		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5417		9/10/25 8:53		3728'26.1532"N		795'42.8946"W		534.455		943924.206		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		1		8		14.264		-2.92		-24.646		Yes		9/10/25 8:53		RTK		32		0.94		0.53		0.78		9905		-1339		Yes		RTK		3D		1.4		935		0.591		0.551		0.472		1.616				WME		Water Meter

		UP5418		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5418		9/10/25 8:54		3728'25.3554"N		795'42.4432"W		88.723		944012.929		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		140		100		100		0		5		8.668		-1.309		9.265		Yes		9/10/25 8:54		RTK		32		0.91		0.51		0.75		9874		-1339		Yes		RTK		3D		0.6		935		0.551		0.433		0.433		1.402				WME		Water Meter

		UP5419		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5419		9/10/25 8:55		3728'24.5640"N		795'41.8727"W		92.501		944105.431		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		20.846		100		-13		10		8.837		-2.279		-49.615		Yes		9/10/25 8:55		RTK		31		0.97		0.54		0.8		9817		-1339		Yes		RTK		3D		1.2		935		0.759		0.472		0.433		1.787				WME		Water Meter

		UP5420		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5420		9/10/25 8:57		3728'23.6816"N		795'41.2590"W		102.246		944207.676		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		2.251		100		1		10		11.276		-1.062		-62.331		Yes		9/10/25 8:57		RTK		31		0.99		0.56		0.81		9741		-1339		Yes		RTK		3D		0.4		935		0.512		0.433		0.394		1.341				WME		Water Meter

		UP5421		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5421		9/10/25 8:59		3728'22.7409"N		795'40.7578"W		103.623		944311.299		0		UNKNOWN		130		65536		CLASSIC		OMNI PEAK		140		46.01		100		0		10		15.747		-1.102		22.32		Yes		9/10/25 8:59		RTK		31		0.96		0.54		0.79		9649		-1339		Yes		RTK		3D		0.6		935		2.362		1.05		0.827		5.17				WME		Water Meter

		UP5422		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5422		9/10/25 9:01		3728'22.7402"N		795'40.7634"W		0.459		944311.758		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		12.434		100		-2		8		12.446		1.281		4.399		Yes		9/10/25 9:01		RTK		31		0.96		0.55		0.78		9648		-1339		Yes		RTK		3D		0.6		935		0.672		0.591		0.591		1.789				WME		Water Meter

		UP5423		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5423		9/10/25 9:01		3728'21.7229"N		795'40.6103"W		103.939		944415.697		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		100		100		-6		6		13.341		0.313		81.431		Yes		9/10/25 9:01		RTK		32		1.06		0.61		0.86		9585		-1339		Yes		RTK		3D		0.6		935		0.551		0.512		0.472		1.504				WME		Water Meter

		UP5424		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5424		9/10/25 9:03		3728'19.1837"N		795'41.8696"W		276.838		944692.535		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		21.405		100		-1		12		12.816		-0.462		-62.049		Yes		9/10/25 9:03		RTK		32		0.98		0.56		0.8		9733		-1339		Yes		RTK		3D		0.6		935		1.388		1.05		0.669		3.481				WME		Water Meter

		UP5425		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5425		9/10/25 9:04		3728'19.4862"N		795'44.0638"W		179.313		944871.847		0		UNKNOWN		39		65536		CLASSIC		OMNI PEAK		140		100		100		0		11		11.725		0.297		13.679		Yes		9/10/25 9:04		RTK		31		1		0.58		0.81		9893		-1339		Yes		RTK		3D		1.4		935		0.591		0.472		0.433		1.513				WME		Water Meter

		UP5426		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5426		9/10/25 9:05		3728'20.0620"N		795'45.4245"W		124.158		944996.006		0		UNKNOWN		46		65536		CLASSIC		OMNI PEAK		140		34.499		100		-7		7		13.896		-6.152		15.455		Yes		9/10/25 9:05		RTK		32		0.97		0.56		0.79		9889		-1339		Yes		RTK		3D		0.8		935		0.85		0.591		0.63		2.071				WME		Water Meter

		UP5427		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5427		9/10/25 9:08		3728'22.6631"N		795'45.4267"W		263.891		945259.896		0		UNKNOWN		29		65536		CLASSIC		OMNI PEAK		140		69.14		100		26		10		13.423		1.241		22.452		Yes		9/10/25 9:08		RTK		32		0.96		0.56		0.78		9968		-1339		Yes		RTK		3D		1.2		935		2.362		1.64		1.339		5.752				WME		Water Meter

		UP5428		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5428		9/10/25 9:08		3728'23.3466"N		795'45.1784"W		72.165		945332.061		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		100		100		0		8		11.006		-0.198		18.525		Yes		9/10/25 9:08		RTK		32		0.96		0.56		0.78		9960		-1339		Yes		RTK		3D		0.4		935		0.948		0.472		0.472		2.118				WME		Water Meter

		UP5429		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5429		9/10/25 9:09		3728'23.4969"N		795'45.7700"W		50.009		945382.07		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		27.994		100		2		8		10.792		-2.28		36.281		Yes		9/10/25 9:09		RTK		32		1		0.59		0.8		9980		-1339		Yes		RTK		3D		1.4		935		0.591		0.472		0.512		1.513				WME		Water Meter

		UP5430		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5430		9/10/25 9:12		3728'21.2473"N		795'47.9205"W		286.467		945668.537		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		-1		10		10.358		0.53		67.925		Yes		9/10/25 9:12		RTK		31		0.99		0.59		0.79		9855		-1339		Yes		RTK		3D		1.2		935		1.64		1.157		0.787		4.015				WME		Water Meter

		UP5431		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5431		9/10/25 9:12		3728'21.7725"N		795'49.0716"W		106.909		945775.446		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		100		100		-4		10		11.354		0.297		-84.258		Yes		9/10/25 9:12		RTK		31		0.99		0.59		0.79		9906		-1339		Yes		RTK		3D		0.6		935		0.551		0.394		0.433		1.355				WME		Water Meter

		UP5432		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5432		9/10/25 9:13		3728'22.0754"N		795'49.8753"W		71.636		945847.082		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		100		100		0		8		26.994		-9.02		10.4		Yes		9/10/25 9:13		RTK		30		0.98		0.6		0.78		9926		-1339		Yes		RTK		3D		1		935		0.472		0.433		0.394		1.282				WME		Water Meter

		UP5433		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5433		9/10/25 9:14		3728'22.6385"N		795'51.5272"W		144.75		945991.831		0		UNKNOWN		33		65536		CLASSIC		OMNI PEAK		140		67.241		100		-6		10		9.823		-2.519		-13.303		Yes		9/10/25 9:14		RTK		32		1.01		0.61		0.8		9936		-1339		Yes		RTK		3D		1.4		935		0.551		0.433		0.394		1.402				WME		Water Meter

		UP5434		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5434		9/10/25 9:15		3728'22.7914"N		795'52.2558"W		60.679		946052.51		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		3.964		100		-35		8		13.102		0.373		-20.564		Yes		9/10/25 9:15		RTK		31		1.07		0.65		0.85		9934		-1339		Yes		RTK		3D		1.2		935		0.591		0.472		0.433		1.513				WME		Water Meter

		UP5435		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5435		9/10/25 9:16		3728'22.4673"N		795'53.8508"W		132.568		946185.078		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		15.311		100		10		9		15.855		2.082		-23.155		Yes		9/10/25 9:16		RTK		31		1.06		0.65		0.84		9929		-1339		Yes		RTK		3D		1		935		0.85		0.591		0.512		2.071				WME		Water Meter

		UP5436		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5436		9/10/25 9:18		3728'22.2758"N		795'52.7017"W		94.543		946279.621		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		9.551		100		-4		9		8.522		-0.267		-52.499		Yes		9/10/25 9:18		RTK		31		1.06		0.65		0.84		9913		-1339		Yes		RTK		3D		0.8		935		1.774		1.05		0.787		4.123				WME		Water Meter

		UP5437		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5437		9/10/25 9:18		3728'21.9381"N		795'51.3555"W		113.673		946393.294		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		26.456		100		0		10		13.684		-2.683		-1.464		Yes		9/10/25 9:18		RTK		31		1.06		0.65		0.84		9927		-1339		Yes		RTK		3D		1.4		935		0.433		0.394		0.394		1.171				WME		Water Meter

		UP5438		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5438		9/10/25 9:19		3728'21.4405"N		795'49.9164"W		126.388		946519.682		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		100		100		5		10		14.101		-6.241		-15.677		Yes		9/10/25 9:19		RTK		32		1		0.62		0.78		9914		-1339		Yes		RTK		3D		0.4		935		0.672		0.512		0.512		1.689				WME		Water Meter

		UP5439		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5439		9/10/25 9:20		3728'20.8817"N		795'48.6384"W		117.488		946637.17		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		1		7		15.324		0.48		28.289		Yes		9/10/25 9:20		RTK		32		1.05		0.65		0.83		9858		-1339		Yes		RTK		3D		1.2		935		0.759		0.551		0.512		1.875				WME		Water Meter

		UP5440		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5440		9/10/25 9:21		3728'20.5701"N		795'47.9154"W		66.238		946703.408		0		UNKNOWN		21		65536		CLASSIC		OMNI PEAK		140		55.319		100		-3		11		11.795		0.263		-4.423		Yes		9/10/25 9:21		RTK		30		1.05		0.65		0.83		9832		-1339		Yes		RTK		3D		1.4		935		1.157		0.672		0.709		2.677				WME		Water Meter

		UP5441		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5441		9/10/25 9:22		3728'19.9626"N		795'46.6715"W		117.595		946821.003		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		100		74		6		15.038		-2.119		3.46		Yes		9/10/25 9:23		RTK		31		1.22		0.7		1		9834		-1339		Yes		RTK		3D		1.2		935		0.85		0.512		0.512		1.985				WME		Water Meter

		UP5442		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5442		9/10/25 9:23		3728'19.6722"N		795'46.0886"W		55.418		946876.421		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		59.088		100		-16		8		14.649		-0.714		-31.968		Yes		9/10/25 9:23		RTK		31		1.38		0.73		1.17		9869		-1339		Yes		RTK		3D		1		935		0.672		0.551		0.591		1.738				WME		Water Meter

		UP5443		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5443		9/10/25 9:24		3728'19.0522"N		795'44.7045"W		127.963		947004.385		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		34.105		100		0		9		12.45		-0.782		-15.141		Yes		9/10/25 9:24		RTK		30		1.1		0.64		0.9		9888		-1339		Yes		RTK		3D		1		935		0.433		0.386		0.394		1.16				WME		Water Meter

		UP5444		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5444		9/10/25 9:24		3728'18.6806"N		795'43.3274"W		117.113		947121.498		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		87.719		100		0		11		8.9		-0.668		-71.102		Yes		9/10/25 9:24		RTK		30		1.06		0.63		0.86		9843		-1339		Yes		RTK		3D		0.6		935		0.512		0.358		0.394		1.249				WME		Water Meter

		UP5445		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5445		9/10/25 9:31		3728'18.5985"N		795'41.9377"W		112.206		947233.704		0		UNKNOWN		19		65536		CLASSIC		OMNI PEAK		140		100		100		0		12		16.1		0.829		-57.524		Yes		9/10/25 9:31		RTK		29		1.21		0.67		1		9737		-1339		Yes		RTK		3D		1.2		935		0.551		0.433		0.472		1.402				WME		Water Meter

		UP5446		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5446		9/10/25 9:33		3728'17.1506"N		795'40.9191"W		168.231		947401.935		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		27.411		100		-6		7		14.914		-0.741		27.334		Yes		9/10/25 9:33		RTK		30		1.21		0.67		1		9629		-1339		Yes		RTK		3D		0.6		935		0.394		0.35		0.433		1.054				WME		Water Meter

		UP5447		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5447		9/10/25 9:34		3728'16.2265"N		795'41.0346"W		94.218		947496.153		0		UNKNOWN		15		65536		CLASSIC		OMNI PEAK		140		100		100		6		11		10.855		1.995		-47.135		Yes		9/10/25 9:34		RTK		29		1.39		0.73		1.19		9536		-1339		Yes		RTK		3D		1.2		935		0.472		0.433		0.394		1.282				WME		Water Meter

		UP5448		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5448		9/10/25 9:36		3728'14.4704"N		795'41.4014"W		180.588		947676.741		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		11.816		100		-1		13		13.579		0.521		-46.854		Yes		9/10/25 9:36		RTK		30		1.21		0.67		1		9434		-1339		Yes		RTK		3D		1.2		935		1.157		0.85		0.669		2.873				WME		Water Meter

		UP5449		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5449		9/10/25 9:38		3728'13.5373"N		795'42.0878"W		109.615		947786.356		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		100		7		11		11.702		0.062		82.858		Yes		9/10/25 9:38		RTK		30		1.14		0.65		0.93		9400		-1339		Yes		RTK		3D		0.6		935		1.27		0.672		0.63		2.874				WME		Water Meter

		UP5450		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5450		9/10/25 9:41		3728'14.4982"N		795'44.4103"W		210.889		947997.245		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		60.052		100		-6		11		13.127		0.772		-12.412		Yes		9/10/25 9:41		RTK		30		1.05		0.62		0.85		9602		-1339		Yes		RTK		3D		1.2		935		0.551		0.472		0.472		1.452				WME		Water Meter

		UP5451		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5451		9/10/25 9:42		3728'14.8602"N		795'45.2905"W		79.817		948077.062		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		100		100		1		12		12.939		3.053		14.671		Yes		9/10/25 9:42		RTK		31		1.15		0.66		0.94		9643		-1339		Yes		RTK		3D		0.6		935		0.433		0.354		0.394		1.119				WME		Water Meter

		UP5452		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5452		9/10/25 9:44		3728'15.6663"N		795'46.7988"W		146.415		948223.477		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		100		100		-5		11		13.91		-1.22		-25.404		Yes		9/10/25 9:44		RTK		31		1.25		0.7		1.04		9733		-1339		Yes		RTK		3D		0.4		935		0.386		0.35		0.394		1.042				WME		Water Meter

		UP5453		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5453		9/10/25 9:45		3728'15.9829"N		795'47.6384"W		74.845		948298.322		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		22.455		100		-4		10		13.519		-3.307		-38.748		Yes		9/10/25 9:45		RTK		31		1.1		0.64		0.9		9761		-1339		Yes		RTK		3D		1		935		0.472		0.433		0.394		1.282				WME		Water Meter

		UP5454		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5454		9/10/25 9:47		3728'16.4625"N		795'48.6742"W		96.555		948394.877		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		7		11		14.852		-1.539		26.365		Yes		9/10/25 9:47		RTK		31		1.15		0.66		0.94		9789		-1339		Yes		RTK		3D		0.6		935		0.512		0.35		0.394		1.241				WME		Water Meter

		UP5455		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5455		9/10/25 9:49		3728'17.0155"N		795'49.7885"W		105.816		948500.693		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		67.06		100		-6		11		11.117		-3.344		37.901		Yes		9/10/25 9:49		RTK		30		1.16		0.66		0.95		9762		-1339		Yes		RTK		3D		1		935		0.394		0.374		0.394		1.086				WME		Water Meter

		UP5456		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5456		9/10/25 9:50		3728'17.5638"N		795'51.0882"W		118.512		948619.205		0		UNKNOWN		18		65536		CLASSIC		OMNI PEAK		140		52.767		100		1		10		11.918		0.123		19.458		Yes		9/10/25 9:50		RTK		31		1.12		0.64		0.91		9663		-1339		Yes		RTK		3D		1.2		935		0.551		0.512		0.512		1.504				WME		Water Meter

		UP5457		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5457		9/10/25 9:51		3728'18.0424"N		795'51.9956"W		87.722		948706.927		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		33.677		100		-1		8		17.568		-0.31		-41.621		Yes		9/10/25 9:51		RTK		31		1.12		0.65		0.92		9714		-1339		Yes		RTK		3D		0.6		935		1.157		1.157		0.709		3.274				WME		Water Meter

		UP5458		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5458		9/10/25 9:52		3728'18.5382"N		795'53.0106"W		95.968		948802.894		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		100		100		-7		10		13.988		1.025		-18.709		Yes		9/10/25 9:52		RTK		31		1.12		0.65		0.92		9751		-1339		Yes		RTK		3D		1.4		935		0.472		0.362		0.394		1.191				WME		Water Meter

		UP5459		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5459		9/10/25 9:53		3728'19.3986"N		795'54.4415"W		144.543		948947.438		0		UNKNOWN		21		65536		CLASSIC		OMNI PEAK		140		98.82		100		6		10		14.788		-4.77		-49.034		Yes		9/10/25 9:53		RTK		31		1.01		0.6		0.82		9802		-1339		Yes		RTK		3D		1.2		935		0.512		0.472		0.394		1.393				WME		Water Meter

		UP5460		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5460		9/10/25 9:54		3728'19.4069"N		795'54.5729"W		10.613		948958.051		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		9.791		100		32		9		15.19		-0.982		-84.932		Yes		9/10/25 9:54		RTK		31		1.13		0.65		0.93		9788		-1339		Yes		RTK		3D		0.8		935		0.433		0.386		0.394		1.16				WME		Water Meter

		UP5461		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5461		9/10/25 9:55		3728'19.3529"N		795'55.1220"W		44.545		949002.595		0		UNKNOWN		47		65536		CLASSIC		OMNI PEAK		140		79.889		100		-1		12		12.296		-2.106		-27.57		Yes		9/10/25 9:55		RTK		29		1.13		0.65		0.93		9759		-1339		Yes		RTK		3D		1.2		935		0.85		0.672		0.551		2.168				WME		Water Meter

		UP5462		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5462		9/10/25 9:55		3728'18.7133"N		795'55.3046"W		66.536		949069.132		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		19.508		100		-7		10		7.34		-1.391		61.459		Yes		9/10/25 9:55		RTK		30		1.13		0.65		0.93		9747		-1339		Yes		RTK		3D		0.8		935		0.472		0.472		0.394		1.336				WME		Water Meter

		UP5463		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5463		9/10/25 9:56		3728'18.5727"N		795'55.2212"W		15.761		949084.893		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		100		100		-12		8		12.135		-1.234		-26.385		Yes		9/10/25 9:56		RTK		30		1.14		0.65		0.93		9744		-1339		Yes		RTK		3D		0.4		935		0.433		0.433		0.394		1.225				WME		Water Meter

		UP5464		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5464		9/10/25 9:56		3728'18.2470"N		795'53.9796"W		105.29		949190.183		0		UNKNOWN		25		65536		CLASSIC		OMNI PEAK		140		100		100		1		8		10.345		-1.804		-74.451		Yes		9/10/25 9:56		RTK		28		1.14		0.65		0.93		9725		-1339		Yes		RTK		3D		0.8		935		0.433		0.433		0.394		1.225				WME		Water Meter

		UP5465		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5465		9/10/25 9:57		3728'17.7952"N		795'52.9904"W		91.896		949282.08		0		UNKNOWN		24		65536		CLASSIC		OMNI PEAK		140		100		100		-1		8		11.675		-3.504		-72.607		Yes		9/10/25 9:57		RTK		30		1.14		0.65		0.94		9695		-1339		Yes		RTK		3D		0.6		935		0.472		0.433		0.394		1.282				WME		Water Meter

		UP5466		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5466		9/10/25 9:58		3728'17.3351"N		795'51.9870"W		93.303		949375.383		0		UNKNOWN		1067		65536		CLASSIC		OMNI PEAK		140		66.608		100		0		10		12.787		1.544		-10.517		Yes		9/10/25 9:58		RTK		30		1.14		0.65		0.94		9668		-1339		Yes		RTK		3D		1		935		0.472		0.354		0.394		1.181				WME		Water Meter

		UP5467		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5467		9/10/25 9:59		3728'16.3444"N		795'49.9933"W		189.399		949564.782		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		22.492		100		0		13		11.314		-1.39		-42.29		Yes		9/10/25 9:59		RTK		30		1.14		0.65		0.94		9764		-1339		Yes		RTK		3D		0.8		935		0.472		0.433		0.394		1.282				WME		Water Meter

		UP5468		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5468		9/10/25 10:02		3728'14.7501"N		795'50.7944"W		174.126		949738.908		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		-2		9		13.361		-2.195		-58.118		Yes		9/10/25 10:02		RTK		29		1.24		0.67		1.05		9734		-1339		Yes		RTK		3D		1		935		0.512		0.358		0.394		1.249				WME		Water Meter

		UP5469		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5469		9/10/25 10:03		3728'13.5001"N		795'51.4018"W		135.918		949874.826		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		100		100		-7		8		11.661		-2.049		-32.643		Yes		9/10/25 10:03		RTK		29		1.24		0.67		1.05		9661		-1339		Yes		RTK		3D		0.6		935		0.512		0.512		0.394		1.448				WME		Water Meter

		UP5470		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5470		9/10/25 10:03		3728'12.1116"N		795'51.5569"W		141.42		950016.246		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		11.898		100		0		11		8.874		-3.675		-14.395		Yes		9/10/25 10:03		RTK		29		1.25		0.66		1.05		9531		-1339		Yes		RTK		3D		1.2		935		0.948		0.551		0.512		2.192				WME		Water Meter

		UP5471		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5471		9/10/25 10:04		3728'11.9035"N		795'51.6146"W		21.614		950037.86		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		140		61.386		100		6		10		12.949		-2.848		-2.723		Yes		9/10/25 10:04		RTK		29		1.25		0.66		1.06		9515		-1339		Yes		RTK		3D		1		935		1.512		0.759		0.63		3.383				WME		Water Meter

		UP5472		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5472		9/10/25 10:05		3728'11.1023"N		795'51.0005"W		95.142		950133.002		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		84.756		100		0		9		12.382		-1.699		87.825		Yes		9/10/25 10:05		RTK		29		1.25		0.66		1.06		9477		-1339		Yes		RTK		3D		0.8		935		0.512		0.512		0.433		1.448				WME		Water Meter

		UP5473		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5473		9/10/25 10:05		3728'11.1028"N		795'50.9665"W		2.733		950135.736		0		UNKNOWN		32		65536		CLASSIC		OMNI PEAK		140		52.016		100		-11		9		7.242		1.233		50.069		Yes		9/10/25 10:05		RTK		29		1.25		0.66		1.06		9477		-1339		Yes		RTK		3D		0.4		935		1.27		1.05		0.669		3.296				WME		Water Meter

		UP5474		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5474		9/10/25 10:06		3728'11.7680"N		795'50.4914"W		77.578		950213.314		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		0		12		12.03		0.218		-3.811		Yes		9/10/25 10:06		RTK		28		1.26		0.66		1.07		9516		-1339		Yes		RTK		3D		0.6		935		0.672		0.551		0.472		1.738				WME		Water Meter

		UP5475		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5475		9/10/25 10:07		3728'12.5754"N		795'50.8269"W		86.253		950299.567		0		UNKNOWN		40		65536		CLASSIC		OMNI PEAK		140		82.41		100		10		11		15.955		-3.071		-45.425		Yes		9/10/25 10:07		RTK		27		1.26		0.66		1.07		9574		-1339		Yes		RTK		3D		1.6		935		0.472		0.382		0.394		1.215				WME		Water Meter

		UP5476		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5476		9/10/25 10:08		3728'13.7552"N		795'50.5767"W		121.373		950420.94		0		UNKNOWN		247		65536		CLASSIC		OMNI PEAK		140		28.399		100		1		11		11.629		-1.213		-47.586		Yes		9/10/25 10:08		RTK		28		1.26		0.66		1.08		9669		-1339		Yes		RTK		3D		1		935		3.215		1.27		0.984		6.914				WME		Water Meter

		UP5477		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5477		9/10/25 10:11		3728'15.5305"N		795'48.2324"W		260.897		950681.837		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		72.741		100		-1		13		12.48		-2.367		12.344		Yes		9/10/25 10:11		RTK		30		1.27		0.66		1.09		9751		-1339		Yes		RTK		3D		1.2		935		0.551		0.472		0.394		1.452				WME		Water Meter

		UP5478		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5478		9/10/25 10:11		3728'15.1454"N		795'47.2712"W		86.696		950768.533		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		4.252		100		-1		12		12.98		-3.966		47.279		Yes		9/10/25 10:11		RTK		30		1.27		0.66		1.09		9684		-1339		Yes		RTK		3D		0.6		935		0.386		0.346		0.394		1.037				WME		Water Meter

		UP5479		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5479		9/10/25 10:13		3728'14.1737"N		795'45.3667"W		182.297		950950.831		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		59.337		100		12		10		10.387		3.075		24.414		Yes		9/10/25 10:13		RTK		30		1.28		0.66		1.09		9604		-1339		Yes		RTK		3D		1		935		0.472		0.433		0.394		1.282				WME		Water Meter

		UP5480		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5480		9/10/25 10:15		3728'13.2519"N		795'43.3968"W		184.132		951134.962		0		UNKNOWN		25		65536		CLASSIC		OMNI PEAK		140		73.854		100		0		7		12.932		-3.465		77.041		Yes		9/10/25 10:15		RTK		30		1.28		0.66		1.1		9455		-1339		Yes		RTK		3D		0.8		935		0.472		0.433		0.394		1.282				WME		Water Meter

		UP5481		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5481		9/10/25 10:17		3728'11.5428"N		795'43.3858"W		173.393		951308.355		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		100		100		0		8		14.271		-0.761		-61.091		Yes		9/10/25 10:17		RTK		30		1.37		0.7		1.18		9399		-1339		Yes		RTK		3D		0.6		935		0.512		0.433		0.394		1.341				WME		Water Meter

		UP5482		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5482		9/10/25 10:18		3728'10.8302"N		795'43.7426"W		77.792		951386.148		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		10.88		100		-11		11		12.925		-2.465		-36.629		Yes		9/10/25 10:18		RTK		30		1.29		0.66		1.11		9399		-1339		Yes		RTK		3D		0.6		935		0.394		0.386		0.394		1.102				WME		Water Meter

		UP5483		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5483		9/10/25 10:20		3728'13.5972"N		795'41.1106"W		351.721		951737.868		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		100		100		2		8		8.979		1.35		-18.266		Yes		9/10/25 10:20		RTK		30		1.3		0.66		1.12		9389		-1339		Yes		RTK		3D		0.8		935		0.85		0.591		0.472		2.071				WME		Water Meter

		UP5484		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5484		9/10/25 10:21		3728'14.1618"N		795'40.7880"W		62.903		951800.771		0		UNKNOWN		26		65536		CLASSIC		OMNI PEAK		140		97.924		100		-3		10		10.293		-1.328		26.844		Yes		9/10/25 10:21		RTK		29		1.3		0.66		1.12		9395		-1339		Yes		RTK		3D		0.8		935		0.759		0.512		0.472		1.83				WME		Water Meter

		UP5485		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5485		9/10/25 10:21		3728'15.0119"N		795'40.4153"W		91.312		951892.083		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		53.148		100		0		12		12.15		-0.751		-4.937		Yes		9/10/25 10:21		RTK		29		1.3		0.66		1.12		9413		-1339		Yes		RTK		3D		1		935		0.672		0.672		0.512		1.9				WME		Water Meter

		UP5486		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5486		9/10/25 10:25		3728'19.3747"N		795'39.9240"W		444.367		952336.451		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		31.318		100		2		10		12.117		-0.453		58.171		Yes		9/10/25 10:25		RTK		30		1.31		0.66		1.13		9623		-1339		Yes		RTK		3D		0.4		935		0.551		0.433		0.394		1.402				WME		Water Meter

		UP5487		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5487		9/10/25 10:27		3728'22.2397"N		795'39.8142"W		290.794		952627.245		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		39.418		100		6		10		14.56		0.255		-10.355		Yes		9/10/25 10:27		RTK		30		1.31		0.66		1.13		9586		-1339		Yes		RTK		3D		0.4		935		0.512		0.39		0.394		1.287				WME		Water Meter

		UP5488		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5488		9/10/25 10:28		3728'25.2183"N		795'41.4270"W		328.898		952956.143		0		UNKNOWN		14		65536		CLASSIC		OMNI PEAK		140		100		100		-7		6		13.817		-1.112		48.992		Yes		9/10/25 10:28		RTK		30		1.31		0.66		1.13		9851		-1339		Yes		RTK		3D		0.4		935		0.591		0.512		0.394		1.563				WME		Water Meter

		UP5489		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5489		9/10/25 10:28		3728'26.0963"N		795'41.9483"W		98.469		953054.612		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		100		100		-1		11		13.441		-1.25		-33.304		Yes		9/10/25 10:28		RTK		30		1.31		0.66		1.14		9881		-1339		Yes		RTK		3D		0.6		935		1.05		0.551		0.551		2.372				WME		Water Meter

		UP5490		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5490		9/10/25 10:29		3728'27.1060"N		795'42.5589"W		113.621		953168.232		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		100		100		1		12		16.03		0.416		15.863		Yes		9/10/25 10:29		RTK		30		1.31		0.66		1.14		9866		-1339		Yes		RTK		3D		0.8		935		0.551		0.433		0.394		1.402				WME		Water Meter

		UP5491		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5491		9/10/25 11:05		3728'32.6703"N		795'44.2726"W		581.112		953749.344		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		1.236		100		2		9		12.749		0.117		-38.323		Yes		9/10/25 11:05		RTK		26		1.31		0.71		1.09		9926		-1339		Yes		RTK		3D		2.2		1122		1.774		1.512		0.787		4.662				WME		Water Meter

		UP5492		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5492		9/10/25 11:06		3728'33.5374"N		795'45.1363"W		112.141		953861.486		0		UNKNOWN		16		65536		CLASSIC		OMNI PEAK		140		47.178		100		-3		6		5.768		-3.394		-35.061		Yes		9/10/25 11:06		RTK		29		0.98		0.57		0.79		9963		-1339		Yes		RTK		3D		0.6		1122		1.774		1.157		0.669		4.237				WME		Water Meter

		UP5493		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5493		9/10/25 11:06		3728'34.0072"N		795'45.5212"W		56.843		953918.328		0		UNKNOWN		458		65536		CLASSIC		OMNI PEAK		140		10.379		100		-5		8		15.369		-3.154		-86.936		Yes		9/10/25 11:06		RTK		29		0.98		0.57		0.79		9984		-1339		Yes		RTK		3D		0.8		1122		0.591		0.551		0.394		1.616				WME		Water Meter

		UP5494		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5494		9/10/25 11:07		3728'35.0881"N		795'46.4666"W		133.494		954051.822		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		4.087		100		3		9		12.14		-3.303		16.932		Yes		9/10/25 11:07		RTK		28		0.98		0.57		0.79		10024		-1339		Yes		RTK		3D		0.8		1122		0.85		0.672		0.551		2.168				WME		Water Meter

		UP5495		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5495		9/10/25 11:08		3728'35.9729"N		795'47.2228"W		108.455		954160.278		0		UNKNOWN		30		65536		CLASSIC		OMNI PEAK		140		100		100		4		9		13.754		-2.595		32.675		Yes		9/10/25 11:08		RTK		29		0.97		0.57		0.79		10058		-1339		Yes		RTK		3D		1.2		1122		0.591		0.394		0.394		1.42				WME		Water Meter

		UP5496		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5496		9/10/25 11:08		3728'36.3825"N		795'47.6159"W		52.236		954212.513		0		UNKNOWN		27		65536		CLASSIC		OMNI PEAK		140		100		100		-6		12		10.632		-2.005		-18.564		Yes		9/10/25 11:08		RTK		29		0.97		0.57		0.79		10071		-1339		Yes		RTK		3D		0.6		1122		0.672		0.551		0.472		1.738				WME		Water Meter

		UP5497		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5497		9/10/25 11:13		3728'37.4646"N		795'48.6036"W		135.552		954348.065		0		UNKNOWN		5355		65536		CLASSIC		OMNI PEAK		140		4.766		100		0		10		8.566		0.117		-35.611		Yes		9/10/25 11:13		RTK		32		1.03		0.6		0.83		10105		-1339		Yes		RTK		3D		0.6		1122		0.759		0.759		0.551		2.145				WME		Water Meter

		UP5498		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5498		9/10/25 11:13		3728'38.2882"N		795'49.2971"W		100.496		954448.561		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		51.207		100		4		13		8.718		-4.532		-26.913		Yes		9/10/25 11:13		RTK		32		0.96		0.57		0.77		10116		-1339		Yes		RTK		3D		0.6		1122		0.948		0.672		0.512		2.323				WME		Water Meter

		UP5499		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5499		9/10/25 11:14		3728'38.9328"N		795'49.8688"W		79.964		954528.525		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		52.449		100		3		5		10.885		-1.417		-31.17		Yes		9/10/25 11:14		RTK		32		1.17		0.66		0.97		10145		-1339		Yes		RTK		3D		0.6		1122		0.551		0.512		0.433		1.504				WME		Water Meter

		UP5500		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5500		9/10/25 11:18		3728'35.9571"N		795'48.0068"W		337.055		954865.579		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		21.134		100		2		9		12.072		0.895		38.881		Yes		9/10/25 11:18		RTK		32		0.98		0.58		0.79		10074		-1339		Yes		RTK		3D		1.4		1122		0.85		0.591		0.512		2.071				WME		Water Meter

		UP5501		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5501		9/10/25 11:20		3728'35.4449"N		795'47.5269"W		64.749		954930.328		0		UNKNOWN		1822		65536		CLASSIC		OMNI PEAK		140		4.761		100		0		9		11.481		-1.617		-50.293		Yes		9/10/25 11:20		RTK		31		1.08		0.63		0.87		10048		-1339		Yes		RTK		3D		1.4		1122		0.472		0.433		0.394		1.282				WME		Water Meter

		UP5502		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5502		9/10/25 11:21		3728'34.4908"N		795'46.6382"W		120.369		955050.697		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		33.253		100		3		10		16.261		-2.128		-24.28		Yes		9/10/25 11:21		RTK		31		1.08		0.63		0.87		10004		-1339		Yes		RTK		3D		1		1122		0.85		0.591		0.512		2.071				WME		Water Meter

		UP5503		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5503		9/10/25 11:24		3728'30.8984"N		795'48.1188"W		383.456		955434.153		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		8.681		100		6		13		14.559		0.869		78.665		Yes		9/10/25 11:24		RTK		32		1.08		0.63		0.87		9934		-1339		Yes		RTK		3D		1		1122		0.551		0.512		0.472		1.504				WME		Water Meter

		UP5504		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5504		9/10/25 11:25		3728'30.5389"N		795'49.2449"W		97.728		955531.88		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		55.106		100		-4		10		10.504		1.048		3.169		Yes		9/10/25 11:25		RTK		32		1.1		0.64		0.89		9973		-1339		Yes		RTK		3D		0.6		1122		0.85		0.551		0.551		2.027				WME		Water Meter

		UP5505		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5505		9/10/25 11:25		3728'30.3080"N		795'50.5217"W		105.434		955637.315		0		UNKNOWN		30		65536		CLASSIC		OMNI PEAK		140		100		100		-7		9		8.079		2.337		-72.196		Yes		9/10/25 11:25		RTK		32		1.08		0.64		0.88		10013		-1339		Yes		RTK		3D		1.4		1122		0.551		0.394		0.394		1.355				WME		Water Meter

		UP5506		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5506		9/10/25 11:26		3728'30.2502"N		795'50.7093"W		16.203		955653.518		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		13.414		100		197		10		14.391		0.512		-60.969		Yes		9/10/25 11:26		RTK		32		1.07		0.63		0.87		10026		-1339		Yes		RTK		3D		0.6		1122		1.512		0.672		0.63		3.309				WME		Water Meter

		UP5507		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5507		9/10/25 11:27		3728'30.1102"N		795'52.2736"W		126.74		955780.258		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		7.129		100		-2		5		12.218		-1.2		39.278		Yes		9/10/25 11:27		RTK		32		1.07		0.62		0.87		10072		-1339		Yes		RTK		3D		0.6		1122		1.774		1.27		0.866		4.364				WME		Water Meter

		UP5508		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5508		9/10/25 11:29		3728'30.0664"N		795'53.8449"W		126.589		955906.847		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		19.859		100		1		12		17.416		0.953		-16.27		Yes		9/10/25 11:29		RTK		31		1.07		0.62		0.87		10105		-1339		Yes		RTK		3D		1		1122		1.157		0.591		0.669		2.599				WME		Water Meter

		UP5509		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5509		9/10/25 11:31		3728'30.2206"N		795'54.5154"W		56.203		955963.05		0		UNKNOWN		18		65536		CLASSIC		OMNI PEAK		140		30.072		100		2		11		15.055		-0.358		-45.453		Yes		9/10/25 11:31		RTK		31		1.2		0.68		0.98		10121		-1339		Yes		RTK		3D		1		1122		0.551		0.472		0.433		1.452				WME		Water Meter

		UP5510		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5510		9/10/25 11:32		3728'30.6126"N		795'56.0038"W		126.263		956089.313		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		30.545		100		3		9		12.436		-0.148		-67.578		Yes		9/10/25 11:32		RTK		31		1.12		0.64		0.92		10183		-1339		Yes		RTK		3D		0.8		1122		0.512		0.39		0.394		1.287				WME		Water Meter

		UP5511		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5511		9/10/25 11:38		3728'33.4331"N		795'54.8522"W		300.785		956390.098		0		UNKNOWN		10		65536		CLASSIC		OMNI PEAK		140		100		100		2		8		11.369		-3.332		-7.617		Yes		9/10/25 11:38		RTK		29		1		0.59		0.81		10163		-1339		Yes		RTK		3D		1		1122		0.551		0.394		0.394		1.355				WME		Water Meter

		UP5512		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5512		9/10/25 11:38		3728'34.1553"N		795'54.1598"W		92.058		956482.156		0		UNKNOWN		120		65536		CLASSIC		OMNI PEAK		140		73.687		100		-3		7		11.674		-2.921		-77.162		Yes		9/10/25 11:38		RTK		29		1		0.59		0.81		10195		-1339		Yes		RTK		3D		1.2		1122		1.157		0.672		0.709		2.677				WME		Water Meter

		UP5513		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5513		9/10/25 11:39		3728'34.7556"N		795'53.8307"W		66.424		956548.58		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		46.713		100		2		11		14.657		-1.996		-20.634		Yes		9/10/25 11:39		RTK		30		1		0.59		0.81		10226		-1339		Yes		RTK		3D		0.4		1122		0.759		0.591		0.551		1.923				WME		Water Meter

		UP5514		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5514		9/10/25 11:41		3728'35.5068"N		795'53.2431"W		89.692		956638.272		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		52.219		100		2		8		14.201		-2.074		11.824		Yes		9/10/25 11:41		FLOAT RTK		31		1		0.59		0.81		10231		-1339		Yes		FLOAT RTK		3D		1.2		1122		4.233		3.129		0.63		10.528				WME		Water Meter

		UP5515		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5515		9/10/25 11:43		3728'37.4139"N		795'51.9714"W		218.899		956857.171		0		UNKNOWN		164		65536		CLASSIC		OMNI PEAK		140		38.367		100		0		14		10.734		-0.035		-70.875		Yes		9/10/25 11:43		RTK		31		0.95		0.56		0.77		10273		-1339		Yes		RTK		3D		0.8		1122		1.05		0.551		0.63		2.372				WME		Water Meter

		UP5516		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5516		9/10/25 11:44		3728'39.8147"N		795'50.2729"W		279.326		957136.497		0		UNKNOWN		76		65536		CLASSIC		OMNI PEAK		140		47.414		100		7		11		10.142		-0.427		-67.723		Yes		9/10/25 11:44		RTK		30		1		0.57		0.82		10169		-1339		Yes		RTK		3D		1.2		1122		1.27		1.05		0.748		3.296				WME		Water Meter

		UP5517		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5517		9/10/25 11:45		3728'40.9357"N		795'49.6813"W		123.292		957259.79		0		UNKNOWN		425		65536		CLASSIC		OMNI PEAK		140		35.324		100		0		12		11.369		0.378		-5.145		Yes		9/10/25 11:45		RTK		31		1		0.57		0.82		10120		-1339		Yes		RTK		3D		1.4		1122		0.759		0.551		0.512		1.875				WME		Water Meter

		UP5518		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5518		9/10/25 11:48		3728'43.0261"N		795'52.0666"W		286.1		957545.89		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		100		100		0		10		14.226		-1.137		-34.763		Yes		9/10/25 11:48		RTK		31		1.01		0.57		0.83		10189		-1339		Yes		RTK		3D		0.6		1122		1.05		0.85		0.63		2.702				WME		Water Meter

		UP5519		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5519		9/10/25 11:49		3728'44.2320"N		795'51.4343"W		132.51		957678.4		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		41.244		100		0		12		9.678		1.392		50.883		Yes		9/10/25 11:49		RTK		30		1.01		0.57		0.83		10168		-1339		Yes		RTK		3D		0.8		1122		0.948		0.672		0.63		2.323				WME		Water Meter

		UP5520		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5520		9/10/25 11:50		3728'45.4695"N		795'50.8337"W		134.536		957812.936		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		9.03		100		-2		6		14.558		-1.57		-7.403		Yes		9/10/25 11:50		RTK		31		1.01		0.57		0.83		10148		-1339		Yes		RTK		3D		0.6		1122		0.433		0.378		0.394		1.15				WME		Water Meter

		UP5521		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5521		9/10/25 11:52		3728'46.5404"N		795'50.1510"W		121.759		957934.695		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		16.505		100		-13		8		10.107		3.762		51.814		Yes		9/10/25 11:52		RTK		32		1.01		0.57		0.84		10101		-1339		Yes		RTK		3D		1		1122		0.672		0.472		0.472		1.643				WME		Water Meter

		UP5522		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5522		9/10/25 11:53		3728'47.3766"N		795'50.1352"W		84.842		958019.537		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		34.497		100		-2		10		9.728		-1.837		-24.338		Yes		9/10/25 11:54		RTK		32		1.01		0.57		0.84		10070		-1339		Yes		RTK		3D		1		1122		0.472		0.346		0.394		1.172				WME		Water Meter

		UP5523		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5523		9/10/25 11:54		3728'47.7730"N		795'50.8251"W		68.569		958088.106		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		25.53		100		4		11		10.163		3.593		28.316		Yes		9/10/25 11:54		RTK		32		1.02		0.57		0.84		10062		-1339		Yes		RTK		3D		1		1122		0.512		0.394		0.394		1.291				WME		Water Meter

		UP5524		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5524		9/10/25 11:56		3728'45.6138"N		795'51.6429"W		228.734		958316.84		0		UNKNOWN		1613		65536		CLASSIC		OMNI PEAK		140		78.523		100		-5		11		13.336		-0.465		-27.858		Yes		9/10/25 11:56		RTK		32		1.02		0.57		0.85		10175		-1339		Yes		RTK		3D		0.8		1122		0.551		0.472		0.472		1.452				WME		Water Meter

		UP5525		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5525		9/10/25 11:56		3728'45.5591"N		795'51.6871"W		6.594		958323.434		0		UNKNOWN		18		65536		CLASSIC		OMNI PEAK		140		100		100		9		8		8.387		1.518		-72.079		Yes		9/10/25 11:56		RTK		32		1.11		0.59		0.93		10171		-1339		Yes		RTK		3D		0.8		1122		1.157		0.948		0.709		2.992				WME		Water Meter

		UP5526		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5526		9/10/25 13:05		3728'44.0136"N		795'52.2758"W		163.793		958487.227		0		UNKNOWN		115		65536		CLASSIC		OMNI PEAK		140		12.139		100		2		10		6.981		0.073		-19.857		Yes		9/10/25 13:05		RTK		20		1.4		0.76		1.18		10179		-1339		Yes		RTK		3D		1.2		1370		0.85		0.433		0.551		1.909				WME		Water Meter

		UP5527		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5527		9/10/25 13:05		3728'43.9911"N		795'52.3092"W		3.528		958490.755		0		UNKNOWN		50		65536		CLASSIC		OMNI PEAK		140		21.1		100		20		9		17.157		-1.557		-82.718		Yes		9/10/25 13:05		RTK		20		1.4		0.76		1.18		10185		-1339		Yes		RTK		3D		0.6		1370		0.948		0.551		0.551		2.192				WME		Water Meter

		UP5528		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5528		9/10/25 13:06		3728'43.5783"N		795'52.3633"W		42.106		958532.861		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		3.134		100		3		11		12.34		-1.747		-70.382		Yes		9/10/25 13:06		RTK		22		1.27		0.64		1.1		10181		-1339		Yes		RTK		3D		1.2		1370		2.207		0.672		0.669		4.615				WME		Water Meter

		UP5529		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5529		9/10/25 13:08		3728'42.1845"N		795'52.8452"W		146.627		958679.488		0		UNKNOWN		46		65536		CLASSIC		OMNI PEAK		140		8.592		100		0		7		13.695		-0.862		34.205		Yes		9/10/25 13:08		RTK		29		1.06		0.53		0.92		10211		-1339		Yes		RTK		3D		0.4		1370		0.85		0.472		0.472		1.946				WME		Water Meter

		UP5530		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5530		9/10/25 13:09		3728'40.2885"N		795'50.6126"W		263.262		958942.75		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		5.264		100		-4		12		15.317		-1.412		84.147		Yes		9/10/25 13:09		RTK		30		1.04		0.51		0.91		10196		-1339		Yes		RTK		3D		1.2		1370		0.85		0.472		0.472		1.946				WME		Water Meter

		UP5531		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5531		9/10/25 13:09		3728'39.9957"N		795'50.7858"W		32.814		958975.564		0		UNKNOWN		31		65536		CLASSIC		OMNI PEAK		140		10.661		100		-1		10		14.932		0.242		38.566		Yes		9/10/25 13:09		RTK		31		1.04		0.51		0.91		10213		-1339		Yes		RTK		3D		0.8		1370		0.672		0.378		0.472		1.542				WME		Water Meter

		UP5532		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5532		9/10/25 13:11		3728'38.5977"N		795'51.6612"W		158.379		959133.943		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		1.427		100		-8		9		17.82		-3.213		-80.216		Yes		9/10/25 13:11		RTK		32		1.02		0.5		0.89		10269		-1339		Yes		RTK		3D		1		1370		0.512		0.472		0.472		1.393				WME		Water Meter

		UP5533		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5533		9/10/25 13:11		3728'37.6353"N		795'52.3848"W		113.695		959247.638		0		UNKNOWN		37		65536		CLASSIC		OMNI PEAK		140		11.946		100		1		12		7.988		-2.196		-41.271		Yes		9/10/25 13:11		RTK		31		1.08		0.53		0.94		10290		-1339		Yes		RTK		3D		0.6		1370		0.85		0.39		0.551		1.871				WME		Water Meter

		UP5534		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5534		9/10/25 13:12		3728'36.5536"N		795'53.1945"W		127.644		959375.282		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		3.614		100		-43		8		11.346		-0.235		2.137		Yes		9/10/25 13:12		RTK		30		1.07		0.51		0.94		10278		-1339		Yes		RTK		3D		1.2		1370		0.672		0.551		0.591		1.738				WME		Water Meter

		UP5535		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5535		9/10/25 13:14		3728'35.8267"N		795'53.6637"W		82.849		959458.13		0		UNKNOWN		54		65536		CLASSIC		OMNI PEAK		140		40.84		100		17		10		17.252		-1.963		41.41		Yes		9/10/25 13:14		RTK		32		1.11		0.52		0.98		10258		-1339		Yes		RTK		3D		1		1370		0.512		0.37		0.394		1.263				WME		Water Meter

		UP5536		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5536		9/10/25 13:14		3728'35.0050"N		795'54.2465"W		95.662		959553.792		0		UNKNOWN		47		65536		CLASSIC		OMNI PEAK		140		100		100		-4		6		12.251		1.427		78.257		Yes		9/10/25 13:14		RTK		32		1.11		0.52		0.98		10240		-1339		Yes		RTK		3D		0.6		1370		0.512		0.394		0.472		1.291				WME		Water Meter

		UP5537		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5537		9/10/25 13:16		3728'34.6367"N		795'54.7437"W		54.758		959608.55		0		UNKNOWN		14		65536		CLASSIC		OMNI PEAK		140		34.542		100		-1		9		18.722		-0.741		39.337		Yes		9/10/25 13:16		RTK		32		1.15		0.57		1		10231		-1339		Yes		RTK		3D		1.2		1370		1.774		0.85		0.787		3.935				WME		Water Meter

		UP5538		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5538		9/10/25 13:16		3728'34.6167"N		795'54.7608"W		2.456		959611.006		0		UNKNOWN		47		65536		CLASSIC		OMNI PEAK		140		24.199		100		19		8		25.458		-3.415		49.518		Yes		9/10/25 13:16		RTK		32		1.14		0.54		1		10232		-1339		Yes		RTK		3D		1.4		1370		1.05		0.512		0.551		2.336				WME		Water Meter

		UP5539		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5539		9/10/25 13:19		3728'33.7006"N		795'55.2791"W		101.872		959712.877		0		UNKNOWN		122		65536		CLASSIC		OMNI PEAK		140		3.439		100		5		8		11.111		-1.45		55.07		Yes		9/10/25 13:19		RTK		32		1.09		0.51		0.96		10194		-1339		Yes		RTK		3D		0.6		1370		0.512		0.433		0.433		1.341				WME		Water Meter

		UP5540		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5540		9/10/25 13:21		3728'31.6795"N		795'56.7919"W		238.49		959951.367		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		-4		10		15.305		-5.06		5.602		Yes		9/10/25 13:21		RTK		32		1.09		0.51		0.96		10229		-1339		Yes		RTK		3D		1		1370		0.672		0.472		0.551		1.643				WME		Water Meter

		UP5541		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5541		9/10/25 13:23		3728'32.0550"N		796'0.4542"W		297.313		960248.68		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		55.394		100		11		9		13.315		0.688		67.843		Yes		9/10/25 13:23		RTK		32		1.09		0.53		0.96		10383		-1339		Yes		RTK		3D		0.4		1370		1.388		0.591		0.669		3.018				WME		Water Meter

		UP5542		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5542		9/10/25 13:25		3728'32.5704"N		796'2.7505"W		192.131		960440.811		0		UNKNOWN		33		65536		CLASSIC		OMNI PEAK		140		100		100		-1		9		11.64		-3.014		13.156		Yes		9/10/25 13:25		RTK		32		1.06		0.51		0.93		10410		-1339		Yes		RTK		3D		1.2		1370		2.688		0.85		0.827		5.638				WME		Water Meter

		UP5543		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5543		9/10/25 13:25		3728'32.2699"N		796'5.1418"W		194.932		960635.742		0		UNKNOWN		65		65536		CLASSIC		OMNI PEAK		140		46.749		100		-9		12		12.556		-1.432		19.941		Yes		9/10/25 13:26		RTK		32		1.11		0.52		0.98		10416		-1339		Yes		RTK		3D		1.4		1370		1.512		0.759		0.827		3.383				WME		Water Meter

		UP5544		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5544		9/10/25 13:26		3728'31.8899"N		796'6.5073"W		116.502		960752.244		0		UNKNOWN		40		65536		CLASSIC		OMNI PEAK		140		82.287		100		1		11		13.639		-2.117		1.603		Yes		9/10/25 13:26		RTK		32		1.14		0.53		1.01		10428		-1339		Yes		RTK		3D		0.6		1370		0.591		0.512		0.512		1.563				WME		Water Meter

		UP5545		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5545		9/10/25 13:31		3728'31.0919"N		796'10.9093"W		363.545		961115.789		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		-1		12		12.405		2.408		18.172		Yes		9/10/25 13:31		RTK		32		1.13		0.53		1		10371		-1339		Yes		RTK		3D		1		1370		0.551		0.472		0.472		1.452				WME		Water Meter

		UP5546		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5546		9/10/25 13:34		3728'30.6170"N		796'14.2007"W		269.34		961385.129		0		UNKNOWN		15		65536		CLASSIC		OMNI PEAK		140		100		100		-3		7		11.118		-0.386		31.14		Yes		9/10/25 13:34		RTK		32		1.01		0.5		0.89		10338		-1339		Yes		RTK		3D		1.4		1370		0.512		0.472		0.433		1.393				WME		Water Meter

		UP5547		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5547		9/10/25 13:37		3728'29.8916"N		796'22.2167"W		649.572		962034.701		0		UNKNOWN		22		65536		CLASSIC		OMNI PEAK		140		100		100		-6		11		13.797		-1.087		-36.145		Yes		9/10/25 13:38		RTK		32		0.92		0.47		0.79		10227		-1339		Yes		RTK		3D		1.8		1370		1.388		0.591		0.669		3.018				WME		Water Meter

		UP5548		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5548		9/10/25 13:41		3728'31.4996"N		795'42.0117"W		3241.119		965275.82		0		UNKNOWN		24		65536		CLASSIC		OMNI PEAK		140		79.858		100		2		11		9.631		-2.447		54.24		Yes		9/10/25 13:41		RTK		32		1.13		0.54		0.99		9923		-1339		Yes		RTK		3D		1		1370		0.85		0.472		0.669		1.946				WME		Water Meter

		UP5549		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5549		9/10/25 13:42		3728'31.4213"N		795'40.6255"W		111.891		965387.711		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		20.827		100		-4		10		6.418		-2.26		-32.054		Yes		9/10/25 13:42		RTK		32		1.05		0.52		0.91		9970		-1339		Yes		RTK		3D		1		1370		0.551		0.512		0.512		1.504				WME		Water Meter

		UP5550		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5550		9/10/25 13:43		3728'32.1450"N		795'40.0691"W		86.009		965473.72		0		UNKNOWN		22		65536		CLASSIC		OMNI PEAK		140		93.489		100		0		12		13.211		-1.442		-31.24		Yes		9/10/25 13:43		RTK		32		1.05		0.53		0.9		10047		-1339		Yes		RTK		3D		0.8		1370		0.672		0.512		0.512		1.689				WME		Water Meter

		UP5551		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5551		9/10/25 13:45		3728'31.1677"N		795'39.7778"W		101.881		965575.601		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		36.168		100		-3		12		12.968		-1.763		47.899		Yes		9/10/25 13:45		RTK		32		1.04		0.52		0.9		9946		-1339		Yes		RTK		3D		1.2		1370		0.512		0.394		0.472		1.291				WME		Water Meter

		UP5552		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5552		9/10/25 13:46		3728'29.5569"N		795'36.7557"W		293.105		965868.707		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		100		100		-37		11		9.474		-0.819		-23.14		Yes		9/10/25 13:46		RTK		31		1.01		0.51		0.86		9849		-1339		Yes		RTK		3D		0.6		1370		0.672		0.472		0.433		1.643				WME		Water Meter

		UP5553		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5553		9/10/25 13:47		3728'27.9836"N		795'34.5224"W		240.428		966109.135		0		UNKNOWN		37		65536		CLASSIC		OMNI PEAK		140		82.076		100		-1		13		10.23		-2.318		39.332		Yes		9/10/25 13:47		RTK		31		1.09		0.55		0.95		9872		-1339		Yes		RTK		3D		1.2		1370		0.472		0.303		0.394		1.123				WME		Water Meter

		UP5554		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5554		9/10/25 13:48		3728'28.8335"N		795'34.5758"W		86.327		966195.462		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		29.842		100		-44		9		13.599		-0.78		-35.135		Yes		9/10/25 13:48		RTK		32		1.05		0.53		0.91		9906		-1339		Yes		RTK		3D		1.4		1370		0.512		0.343		0.394		1.232				WME		Water Meter

		UP5555		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5555		9/10/25 13:50		3728'27.3098"N		795'33.5321"W		175.939		966371.401		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		29.812		100		18		7		8.118		1.691		30.922		Yes		9/10/25 13:50		RTK		32		1.03		0.52		0.89		9843		-1339		Yes		RTK		3D		0.6		1370		0.759		0.591		0.551		1.923				WME		Water Meter

		UP5556		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5556		9/10/25 13:51		3728'26.3497"N		795'32.2116"W		144.194		966515.595		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		53.097		100		-1		12		11.931		1.832		-57.607		Yes		9/10/25 13:51		RTK		32		1.06		0.53		0.92		9812		-1339		Yes		RTK		3D		0.4		1370		0.591		0.472		0.512		1.513				WME		Water Meter

		UP5557		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5557		9/10/25 13:52		3728'26.0190"N		795'31.5891"W		60.309		966575.904		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		-4		10		11.836		-6.48		15.335		Yes		9/10/25 13:52		RTK		32		1		0.5		0.86		9825		-1339		Yes		RTK		3D		0.6		1370		0.672		0.512		0.551		1.689				WME		Water Meter

		UP5558		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5558		9/10/25 13:52		3728'25.3985"N		795'30.6806"W		96.506		966672.41		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		32.256		100		0		12		12.086		-7.747		60.942		Yes		9/10/25 13:52		RTK		32		1.1		0.55		0.95		9836		-1339		Yes		RTK		3D		1.2		1370		0.472		0.319		0.394		1.14				WME		Water Meter

		UP5559		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5559		9/10/25 13:54		3728'24.8971"N		795'29.9368"W		78.575		966750.985		0		UNKNOWN		35		65536		CLASSIC		OMNI PEAK		140		100		100		1		11		11.526		2.666		85.883		Yes		9/10/25 13:54		RTK		32		1.02		0.52		0.89		9810		-1339		Yes		RTK		3D		0.4		1370		0.948		0.551		0.63		2.192				WME		Water Meter

		UP5560		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5560		9/10/25 13:56		3728'23.9831"N		795'28.5034"W		148.04		966899.025		0		UNKNOWN		29		65536		CLASSIC		OMNI PEAK		140		100		100		0		11		10.332		0.452		10.77		Yes		9/10/25 13:56		RTK		31		1.03		0.54		0.88		9799		-1339		Yes		RTK		3D		1.2		1370		1.27		0.85		0.787		3.057				WME		Water Meter

		UP5561		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5561		9/10/25 13:57		3728'23.2248"N		795'27.4029"W		117.345		967016.37		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		100		100		1		10		9.407		1.363		-32.009		Yes		9/10/25 13:58		RTK		31		0.99		0.52		0.85		9846		-1339		Yes		RTK		3D		1		1370		1.913		1.05		0.748		4.365				WME		Water Meter

		UP5562		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5562		9/10/25 14:00		3728'22.2286"N		795'25.6440"W		173.99		967190.359		0		UNKNOWN		36		65536		CLASSIC		OMNI PEAK		140		99.911		100		0		12		12.262		-0.78		4.177		Yes		9/10/25 14:00		RTK		32		1.04		0.53		0.89		9806		-1339		Yes		RTK		3D		0.8		1370		0.512		0.37		0.394		1.263				WME		Water Meter

		UP5563		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5563		9/10/25 14:01		3728'21.4571"N		795'24.6419"W		112.401		967302.76		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		100		100		1		9		11.054		-1.694		-43.966		Yes		9/10/25 14:01		RTK		32		1.01		0.54		0.85		9740		-1339		Yes		RTK		3D		0.4		1370		1.05		0.591		0.591		2.409				WME		Water Meter

		UP5564		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5564		9/10/25 14:03		3728'19.5625"N		795'23.4437"W		215.063		967517.823		0		UNKNOWN		10		65536		CLASSIC		OMNI PEAK		140		100		100		-1		11		12.901		0.333		-86.212		Yes		9/10/25 14:03		RTK		32		1.02		0.54		0.87		9742		-1339		Yes		RTK		3D		1.2		1370		0.672		0.472		0.551		1.643				WME		Water Meter

		UP5565		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5565		9/10/25 14:06		3728'13.6427"N		795'21.8087"W		614.821		968132.644		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		22.352		100		-17		8		11.926		-1.237		-2.265		Yes		9/10/25 14:06		RTK		32		1.07		0.58		0.9		9717		-1339		Yes		RTK		3D		0.6		1370		0.948		0.472		0.472		2.118				WME		Water Meter

		UP5566		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5566		9/10/25 14:08		3728'11.5787"N		795'21.1166"W		216.686		968349.33		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		0		12		8.257		-1.574		4.531		Yes		9/10/25 14:08		RTK		32		1.13		0.61		0.95		9610		-1339		Yes		RTK		3D		1.2		1370		0.948		0.551		0.63		2.192				WME		Water Meter

		UP5567		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5567		9/10/25 14:09		3728'10.6954"N		795'20.5948"W		98.969		968448.299		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		2.004		100		-7		11		8.053		-6.858		-89.645		Yes		9/10/25 14:09		RTK		32		1.1		0.6		0.92		9558		-1339		Yes		RTK		3D		1		1370		0.85		0.433		0.472		1.909				WME		Water Meter

		UP5568		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5568		9/10/25 14:10		3728'9.4634"N		795'19.8806"W		137.587		968585.886		0		UNKNOWN		14		65536		CLASSIC		OMNI PEAK		140		92.844		100		19		11		8.621		-3.125		15.152		Yes		9/10/25 14:10		RTK		32		0.97		0.52		0.82		9490		-1339		Yes		RTK		3D		1		1370		0.591		0.394		0.394		1.42				WME		Water Meter

		UP5569		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5569		9/10/25 14:11		3728'7.7982"N		795'19.1723"W		178.298		968764.184		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		20.785		100		5		12		10.681		0.186		11.118		Yes		9/10/25 14:11		RTK		32		1.03		0.57		0.86		9347		-1339		Yes		RTK		3D		0.8		1370		1.157		0.551		0.591		2.564				WME		Water Meter

		UP5570		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5570		9/10/25 14:15		3728'5.6807"N		795'18.9621"W		215.491		968979.675		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		7.573		100		19		10		13.736		-0.827		-81.258		Yes		9/10/25 14:15		RTK		32		1.13		0.62		0.94		9268		-1339		Yes		RTK		3D		1.4		1370		1.913		1.05		0.827		4.365				WME		Water Meter

		UP5571		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5571		9/10/25 14:18		3728'0.5644"N		795'18.2138"W		522.533		969502.209		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		100		100		0		6		11.038		-1.844		16.605		Yes		9/10/25 14:18		RTK		31		1.1		0.59		0.92		9021		-1339		Yes		RTK		3D		1.2		1370		0.759		0.433		0.433		1.747				WME		Water Meter

		UP5572		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5572		9/10/25 14:19		3728'0.1155"N		795'18.1567"W		45.77		969547.978		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		5.368		100		-5		12		12.36		-2.751		33.794		Yes		9/10/25 14:19		RTK		31		1.04		0.57		0.87		8987		-1339		Yes		RTK		3D		1.2		1370		0.759		0.472		0.472		1.787				WME		Water Meter

		UP5573		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5573		9/10/25 14:20		3727'58.5418"N		795'18.1617"W		159.655		969707.633		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		1		12		9.315		0.551		-5.616		Yes		9/10/25 14:20		RTK		32		1		0.54		0.84		8906		-1339		Yes		RTK		3D		1		1370		0.948		0.672		0.591		2.323				WME		Water Meter

		UP5574		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5574		9/10/25 14:22		3728'1.0422"N		795'16.9966"W		270.455		969978.088		0		UNKNOWN		257		65536		CLASSIC		OMNI PEAK		140		46.357		100		-3		9		10.002		0.014		-8.883		Yes		9/10/25 14:22		RTK		32		0.95		0.51		0.8		9112		-1339		Yes		RTK		3D		0.8		1370		1.157		0.591		0.591		2.599				WME		Water Meter

		UP5575		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5575		9/10/25 14:24		3728'2.2596"N		795'17.1605"W		124.212		970102.3		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		47.983		100		21		10		11.188		-2.309		-39.414		Yes		9/10/25 14:24		RTK		32		0.98		0.52		0.83		9228		-1339		Yes		RTK		3D		0.4		1370		0.759		0.394		0.433		1.709				WME		Water Meter

		UP5576		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5576		9/10/25 14:25		3728'3.9615"N		795'17.3145"W		173.109		970275.409		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		17		12		6.314		0.844		-3.091		Yes		9/10/25 14:25		RTK		32		0.97		0.52		0.82		9316		-1339		Yes		RTK		3D		1.4		1370		1.64		0.472		0.433		3.414				WME		Water Meter

		UP5577		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5577		9/10/25 14:33		3727'13.0256"N		795'6.5352"W		0		970275.409		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		10.998		100		0		10		9.799		0.818		63.519		Yes		9/10/25 14:33		RTK		31		0.95		0.51		0.8		10378		-1340		Yes		RTK		3D		1.2		1370		0.551		0.378		0.394		1.337				WME		Water Meter

		UP5578		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5578		9/10/25 14:33		3727'13.1528"N		795'6.4891"W		13.428		970288.837		0		UNKNOWN		69		65536		CLASSIC		OMNI PEAK		140		75.484		100		5		11		12.847		-0.618		39.56		Yes		9/10/25 14:33		RTK		31		0.95		0.51		0.8		10386		-1340		Yes		RTK		3D		1		1370		0.551		0.386		0.394		1.346				WME		Water Meter

		UP5579		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5579		9/10/25 14:35		3727'11.9231"N		795'13.1690"W		552.248		970841.085		0		UNKNOWN		44		65536		CLASSIC		OMNI PEAK		140		100		100		-2		12		10.401		1.486		-52.375		Yes		9/10/25 14:35		RTK		32		1.07		0.58		0.9		10423		-1340		Yes		RTK		3D		0.6		1370		0.85		0.551		0.512		2.027				WME		Water Meter

		UP5580		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5580		9/10/25 14:37		3727'12.1482"N		795'15.7928"W		212.539		971053.625		0		UNKNOWN		58		65536		CLASSIC		OMNI PEAK		140		47.509		100		0		13		11.947		-3.541		19.283		Yes		9/10/25 14:37		RTK		31		1.05		0.56		0.89		10408		-1339		Yes		RTK		3D		1.2		1370		0.472		0.327		0.394		1.149				WME		Water Meter

		UP5581		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5581		9/10/25 14:38		3727'12.9377"N		795'17.5251"W		160.867		971214.492		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		140		100		100		4		10		10.914		-0.896		-68.41		Yes		9/10/25 14:38		RTK		32		1.04		0.55		0.88		10351		-1339		Yes		RTK		3D		1.6		1370		0.591		0.366		0.394		1.39				WME		Water Meter

		UP5582		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5582		9/10/25 14:39		3727'13.1137"N		795'17.7739"W		26.844		971241.336		0		UNKNOWN		75		65536		CLASSIC		OMNI PEAK		140		55.162		100		0		12		9.075		4.337		75.154		Yes		9/10/25 14:39		RTK		31		1.04		0.55		0.88		10354		-1339		Yes		RTK		3D		0.6		1370		0.591		0.335		0.394		1.358				WME		Water Meter

		UP5583		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5583		9/10/25 14:39		3727'13.1216"N		795'17.8314"W		4.697		971246.033		0		UNKNOWN		74		65536		CLASSIC		OMNI PEAK		140		100		100		-1		11		11.753		-1.506		49.022		Yes		9/10/25 14:39		RTK		31		1.04		0.55		0.88		10352		-1339		Yes		RTK		3D		1.2		1370		0.551		0.343		0.394		1.298				WME		Water Meter

		UP5584		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5584		9/10/25 14:40		3727'13.7741"N		795'18.7554"W		99.6		971345.632		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		74.857		100		0		9		29.803		-3.441		-14.603		Yes		9/10/25 14:40		RTK		31		1.05		0.55		0.9		10353		-1339		Yes		RTK		3D		0.8		1370		1.157		0.551		0.591		2.564				WME		Water Meter

		UP5585		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5585		9/10/25 14:41		3727'14.6959"N		795'19.7286"W		122.012		971467.645		0		UNKNOWN		25		65536		CLASSIC		OMNI PEAK		140		100		100		7		4		13.255		3.553		-31.523		Yes		9/10/25 14:41		FLOAT RTK		32		1.05		0.56		0.88		10353		-1339		Yes		FLOAT RTK		3D		1.2		1370		7.546		4.969		1.575		18.071				WME		Water Meter

		UP5586		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5586		9/10/25 14:42		3727'14.4216"N		795'20.5857"W		74.432		971542.076		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		31.8		100		5		7		14.702		0.376		-6.931		Yes		9/10/25 14:42		RTK		32		1.03		0.55		0.87		10308		-1339		Yes		RTK		3D		0.8		1370		0.672		0.394		0.394		1.558				WME		Water Meter

		UP5587		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5587		9/10/25 14:43		3727'13.7362"N		795'20.2974"W		73.309		971615.385		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		100		100		11		11		9.694		-1.802		55.757		Yes		9/10/25 14:43		RTK		32		1.01		0.53		0.86		10314		-1339		Yes		RTK		3D		1.2		1370		0.591		0.512		0.472		1.563				WME		Water Meter

		UP5588		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5588		9/10/25 14:44		3727'12.9995"N		795'18.7508"W		145.257		971760.642		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		9.412		100		33		8		13.727		-2.005		15.841		Yes		9/10/25 14:44		RTK		32		1.01		0.53		0.85		10339		-1339		Yes		RTK		3D		0.4		1370		0.512		0.311		0.394		1.198				WME		Water Meter

		UP5589		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5589		9/10/25 14:45		3727'11.4706"N		795'15.6415"W		294.56		972055.202		0		UNKNOWN		10		65536		CLASSIC		OMNI PEAK		140		100		100		3		8		11.442		-1.003		-17.64		Yes		9/10/25 14:45		RTK		32		1.04		0.54		0.89		10391		-1339		Yes		RTK		3D		1.4		1370		0.551		0.433		0.394		1.402				WME		Water Meter

		UP5590		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5590		9/10/25 14:47		3727'9.8017"N		795'16.2193"W		175.584		972230.786		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		10.251		100		-2		9		12.854		-3.427		39.344		Yes		9/10/25 14:47		RTK		32		1.05		0.55		0.89		10245		-1339		Yes		RTK		3D		1.4		1370		0.672		0.472		0.512		1.643				WME		Water Meter

		UP5591		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5591		9/10/25 14:48		3727'9.5251"N		795'15.6387"W		54.532		972285.318		0		UNKNOWN		49		65536		CLASSIC		OMNI PEAK		140		83.155		100		0		13		10.901		1.605		11.391		Yes		9/10/25 14:48		RTK		32		1.07		0.56		0.91		10201		-1339		Yes		RTK		3D		1.2		1370		0.948		0.591		0.551		2.233				WME		Water Meter

		UP5592		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5592		9/10/25 14:49		3727'8.3445"N		795'17.1449"W		170.472		972455.79		0		UNKNOWN		33		65536		CLASSIC		OMNI PEAK		140		74.805		100		17		8		9.561		-2.27		-39.998		Yes		9/10/25 14:49		RTK		32		1.04		0.53		0.89		10075		-1339		Yes		RTK		3D		1		1370		0.551		0.394		0.394		1.355				WME		Water Meter

		UP5593		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5593		9/10/25 14:51		3727'10.8261"N		795'14.7735"W		316.006		972771.796		0		UNKNOWN		59		65536		CLASSIC		OMNI PEAK		140		92.535		100		0		8		13.856		-1.652		38.918		Yes		9/10/25 14:51		RTK		31		1.05		0.54		0.9		10351		-1339		Yes		RTK		3D		0.8		1370		0.672		0.551		0.512		1.738				WME		Water Meter

		UP5594		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5594		9/10/25 14:53		3727'11.4350"N		795'12.7328"W		175.582		972947.378		0		UNKNOWN		45		65536		CLASSIC		OMNI PEAK		140		89.987		100		-1		12		7.736		-0.574		10.158		Yes		9/10/25 14:53		RTK		32		1.07		0.55		0.92		10392		-1340		Yes		RTK		3D		1.2		1370		0.85		0.512		0.551		1.985				WME		Water Meter

		UP5595		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5595		9/10/25 14:54		3727'11.4050"N		795'11.6795"W		84.881		973032.259		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		84.173		99		8		10		-0.237		-0.249		40.372		Yes		9/10/25 14:54		RTK		32		1.07		0.55		0.92		10378		-1340		Yes		RTK		3D		0.4		1370		1.512		0.672		0.669		3.309				WME		Water Meter

		UP5596		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5596		9/10/25 14:55		3727'11.3867"N		795'10.0211"W		133.574		973165.833		0		UNKNOWN		15		65536		CLASSIC		OMNI PEAK		140		100		99		2		10		9.975		-0.025		0.932		Yes		9/10/25 14:55		RTK		32		1.07		0.55		0.92		10341		-1340		Yes		RTK		3D		0.8		1370		0.672		0.433		0.472		1.599				WME		Water Meter

		UP5597		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5597		9/10/25 14:58		3727'11.0792"N		795'6.4929"W		285.855		973451.688		0		UNKNOWN		336		65536		CLASSIC		OMNI PEAK		140		54.344		99		1		10		9.703		0.825		75.741		Yes		9/10/25 14:58		RTK		32		1.03		0.54		0.88		10314		-1340		Yes		RTK		3D		0.8		1370		0.591		0.472		0.472		1.513				WME		Water Meter

		UP5598		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5598		9/11/25 7:30		3728'8.9371"N		795'18.3287"W		0		973451.688		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		28.76		100		0		12		16.773		-0.089		-69.997		Yes		9/11/25 7:30		FLOAT RTK		28		1.12		0.58		0.95		9388		-1339		Yes		FLOAT RTK		3D		1.2		1728		8.835		6.994		1.339		22.536				WME		Water Meter

		UP5599		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5599		9/11/25 7:33		3728'11.4817"N		795'19.8119"W		284.438		973736.126		0		UNKNOWN		212		65536		CLASSIC		OMNI PEAK		140		10.597		100		-1		10		11.353		2.456		14.027		Yes		9/11/25 7:33		RTK		28		1.14		0.6		0.97		9633		-1339		Yes		RTK		3D		1.4		1728		0.433		0.37		0.472		1.139				WME		Water Meter

		UP5600		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5600		9/11/25 7:37		3728'12.4854"N		795'20.4106"W		112.658		973848.784		0		UNKNOWN		336		65536		CLASSIC		OMNI PEAK		140		7.902		100		2		8		11.432		2.993		3.514		Yes		9/11/25 7:37		RTK		29		1.42		0.66		1.26		9648		-1339		Yes		RTK		3D		0.8		1728		0.85		0.672		0.748		2.168				WME		Water Meter

		UP5601		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5601		9/11/25 7:38		3728'12.4870"N		795'20.3844"W		2.115		973850.899		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		10.677		100		-1		12		13.181		-1.111		59.803		Yes		9/11/25 7:38		RTK		29		1.42		0.66		1.26		9646		-1339		Yes		RTK		3D		1.6		1728		0.512		0.394		0.512		1.291				WME		Water Meter

		UP5602		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5602		9/11/25 7:39		3728'13.2606"N		795'20.4585"W		78.713		973929.612		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		29.085		100		8		6		13.892		-0.14		11.278		Yes		9/11/25 7:39		RTK		31		1.23		0.62		1.06		9686		-1339		Yes		RTK		3D		1.6		1728		0.512		0.433		0.551		1.341				WME		Water Meter

		UP5603		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5603		9/11/25 7:45		3728'14.4370"N		795'20.9109"W		124.782		974054.394		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		25.576		100		0		7		10.404		-2.216		-73.605		Yes		9/11/25 7:45		RTK		31		1.15		0.6		0.98		9747		-1339		Yes		RTK		3D		1.2		1728		0.433		0.354		0.394		1.119				WME		Water Meter

		UP5604		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5604		9/11/25 7:49		3728'16.0328"N		795'18.5594"W		249.117		974303.511		0		UNKNOWN		357		65536		CLASSIC		OMNI PEAK		140		4.851		100		5		9		14.092		-1.516		37.433		Yes		9/11/25 7:49		RTK		31		1.13		0.58		0.96		9790		-1339		Yes		RTK		3D		0.8		1728		0.948		0.672		0.669		2.323				WME		Water Meter

		UP5605		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5605		9/11/25 7:52		3728'17.0728"N		795'16.6937"W		183.57		974487.081		0		UNKNOWN		14		65536		CLASSIC		OMNI PEAK		140		12.338		100		14		10		11.189		0.692		45.525		Yes		9/11/25 7:52		RTK		31		1.1		0.57		0.94		9821		-1340		Yes		RTK		3D		0.6		1728		0.551		0.472		0.472		1.452				WME		Water Meter

		UP5606		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5606		9/11/25 7:54		3728'17.8072"N		795'14.5156"W		190.545		974677.626		0		UNKNOWN		36		65536		CLASSIC		OMNI PEAK		140		10.412		100		15		7		14.156		-0.453		56.765		Yes		9/11/25 7:54		RTK		31		1.11		0.58		0.95		9784		-1340		Yes		RTK		3D		0.6		1728		1.05		0.85		0.669		2.702				WME		Water Meter

		UP5607		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5607		9/11/25 7:55		3728'18.1179"N		795'13.8151"W		64.61		974742.236		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.538		100		-14		8		10.798		-1.563		-26.768		Yes		9/11/25 7:55		RTK		31		1.11		0.58		0.94		9767		-1340		Yes		RTK		3D		0.4		1728		0.512		0.433		0.433		1.341				WME		Water Meter

		UP5608		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5608		9/11/25 7:57		3728'18.6770"N		795'12.9049"W		92.672		974834.908		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		140		43.825		100		-2		7		10.788		2.187		34.047		Yes		9/11/25 7:57		RTK		32		1.1		0.58		0.93		9754		-1340		Yes		RTK		3D		1.4		1728		0.672		0.512		0.512		1.689				WME		Water Meter

		UP5609		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5609		9/11/25 7:57		3728'18.6611"N		795'12.9235"W		2.2		974837.108		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		5.49		100		-12		12		14.003		1.559		0.713		Yes		9/11/25 7:57		RTK		32		1.1		0.58		0.93		9752		-1340		Yes		RTK		3D		0.4		1728		0.759		0.672		0.63		2.027				WME		Water Meter

		UP5610		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5610		9/11/25 7:58		3728'20.9243"N		795'12.2043"W		236.788		975073.895		0		UNKNOWN		10		65536		CLASSIC		OMNI PEAK		140		31.105		100		-2		9		12.223		1.441		25.155		Yes		9/11/25 7:58		RTK		32		1.09		0.58		0.93		9702		-1340		Yes		RTK		3D		0.6		1728		0.672		0.551		0.591		1.738				WME		Water Meter

		UP5611		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5611		9/11/25 8:04		3728'19.5835"N		794'48.1108"W		1944.672		977018.568		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.002		100		-3		13		13.198		0.527		-38.38		Yes		9/11/25 8:04		RTK		31		1.11		0.59		0.94		9431		-1340		Yes		RTK		3D		1.2		1728		0.39		0.37		0.394		1.075				WME		Water Meter

		UP5612		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5612		9/11/25 8:06		3728'19.5408"N		794'46.2923"W		146.485		977165.053		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		40.94		100		-23		12		16.4		3.013		-2.28		Yes		9/11/25 8:06		RTK		31		1.1		0.59		0.93		9428		-1340		Yes		RTK		3D		0.8		1728		1.05		0.551		0.669		2.372				WME		Water Meter

		UP5613		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5613		9/11/25 8:07		3728'19.1002"N		794'44.0272"W		187.776		977352.829		0		UNKNOWN		41		65536		CLASSIC		OMNI PEAK		140		19.779		100		0		10		11.346		-0.902		38.597		Yes		9/11/25 8:07		RTK		32		1.09		0.59		0.92		9512		-1340		Yes		RTK		3D		0.8		1728		0.672		0.512		0.512		1.689				WME		Water Meter

		UP5614		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5614		9/11/25 8:09		3728'18.3730"N		794'42.3179"W		156.156		977508.984		0		UNKNOWN		39		65536		CLASSIC		OMNI PEAK		140		26.768		100		11		7		12.76		-0.201		-5.098		Yes		9/11/25 8:09		RTK		31		1.09		0.59		0.91		9445		-1340		Yes		RTK		3D		1.2		1728		0.672		0.551		0.551		1.738				WME		Water Meter

		UP5615		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5615		9/11/25 8:11		3728'17.4712"N		794'40.8003"W		152.643		977661.627		0		UNKNOWN		442		65536		CLASSIC		OMNI PEAK		140		9.385		100		11		8		17.705		-0.676		12.099		Yes		9/11/25 8:11		RTK		31		1.08		0.59		0.9		9404		-1340		Yes		RTK		3D		1.2		1728		0.948		0.591		0.748		2.233				WME		Water Meter

		UP5616		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5616		9/11/25 8:13		3728'16.0223"N		794'36.6580"W		364.478		978026.105		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		1.329		100		0		7		14.898		-0.364		8.598		Yes		9/11/25 8:13		RTK		31		1.06		0.58		0.88		9336		-1340		Yes		RTK		3D		0.4		1728		0.472		0.433		0.394		1.282				WME		Water Meter

		UP5617		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5617		9/11/25 8:15		3728'15.7580"N		794'34.9007"W		144.01		978170.115		0		UNKNOWN		54		65536		CLASSIC		OMNI PEAK		140		21.432		100		4		8		12.309		-0.278		69.894		Yes		9/11/25 8:15		RTK		32		1.08		0.58		0.91		9280		-1340		Yes		RTK		3D		1		1728		0.358		0.307		0.394		0.944				WME		Water Meter

		UP5618		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5618		9/11/25 8:17		3728'15.3928"N		794'32.7554"W		176.662		978346.778		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		7.725		100		-6		10		11.543		-2.366		55.597		Yes		9/11/25 8:17		RTK		32		1.15		0.61		0.97		9213		-1340		Yes		RTK		3D		0.6		1728		1.64		0.948		0.709		3.789				WME		Water Meter

		UP5619		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5619		9/11/25 8:21		3728'15.0392"N		794'31.1797"W		131.849		978478.626		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.002		100		-13		11		12.796		-0.491		-84.809		Yes		9/11/25 8:21		RTK		31		1.04		0.56		0.88		9312		-1340		Yes		RTK		3D		0.4		1728		0.433		0.386		0.394		1.16				WME		Water Meter

		UP5620		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5620		9/11/25 8:22		3728'14.8570"N		794'29.8294"W		110.28		978588.907		0		UNKNOWN		97		65536		CLASSIC		OMNI PEAK		140		39.533		100		-4		10		13.865		-0.167		69.202		Yes		9/11/25 8:22		RTK		31		1.1		0.6		0.92		9382		-1340		Yes		RTK		3D		1		1728		0.672		0.512		0.433		1.689				WME		Water Meter

		UP5621		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5621		9/11/25 8:23		3728'14.3816"N		794'27.1215"W		223.304		978812.211		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.006		100		42		6		11.593		-0.602		-53.401		Yes		9/11/25 8:23		RTK		31		1.04		0.56		0.88		9443		-1340		Yes		RTK		3D		1		1728		0.472		0.472		0.433		1.336				WME		Water Meter

		UP5622		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5622		9/11/25 8:24		3728'14.2437"N		794'25.9215"W		97.631		978909.842		0		UNKNOWN		493		65536		CLASSIC		OMNI PEAK		140		16.739		100		26		6		11.588		1.144		51.229		Yes		9/11/25 8:24		RTK		30		1.04		0.56		0.87		9387		-1340		Yes		RTK		3D		0.6		1728		0.948		0.85		0.669		2.546				WME		Water Meter

		UP5623		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5623		9/11/25 8:28		3728'13.0045"N		794'22.8579"W		276.867		979186.709		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		35.514		100		-16		9		9.796		-1.379		-31.076		Yes		9/11/25 8:28		RTK		29		1.03		0.56		0.87		9345		-1340		Yes		RTK		3D		1.2		1728		0.672		0.512		0.551		1.689				WME		Water Meter

		UP5624		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5624		9/11/25 8:29		3728'13.8377"N		794'24.1354"W		133.14		979319.849		0		UNKNOWN		297		65536		CLASSIC		OMNI PEAK		140		15.295		100		27		9		23.726		-1.906		-13.913		Yes		9/11/25 8:29		RTK		28		1.03		0.56		0.87		9314		-1340		Yes		RTK		3D		0.8		1728		1.512		1.05		0.669		3.681				WME		Water Meter

		UP5625		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5625		9/11/25 8:31		3728'11.1668"N		794'21.1820"W		360.513		979680.362		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		31.005		100		-11		9		11.842		-0.03		43.952		Yes		9/11/25 8:31		RTK		31		1.03		0.56		0.86		9303		-1340		Yes		RTK		3D		0.6		1728		1.512		1.05		0.709		3.681				WME		Water Meter

		UP5626		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5626		9/11/25 8:38		3728'9.9772"N		794'20.2058"W		144.029		979824.39		0		UNKNOWN		161		65536		CLASSIC		OMNI PEAK		140		8.398		100		-73		11		13.232		-0.693		-2.614		Yes		9/11/25 8:38		RTK		32		0.98		0.56		0.8		9188		-1340		Yes		RTK		3D		1.4		1728		1.64		1.388		0.787		4.298				WME		Water Meter

		UP5627		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5627		9/11/25 8:39		3728'7.2103"N		794'17.4327"W		358.679		980183.07		0		UNKNOWN		210		65536		CLASSIC		OMNI PEAK		140		5.157		100		-5		7		6.773		-2.942		-47.545		Yes		9/11/25 8:39		RTK		32		0.98		0.56		0.8		8817		-1340		Yes		RTK		3D		0.6		1728		2.058		1.512		0.866		5.107				WME		Water Meter

		UP5628		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5628		9/11/25 8:41		3728'5.5907"N		794'12.1094"W		459.039		980642.108		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		2.574		100		-6		8		17.237		-2.876		-66.016		Yes		9/11/25 8:41		RTK		31		0.97		0.56		0.8		8317		-1340		Yes		RTK		3D		0.8		1728		0.591		0.472		0.433		1.513				WME		Water Meter

		UP5629		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5629		9/11/25 8:44		3728'5.8816"N		794'13.1092"W		85.741		980727.85		0		UNKNOWN		134		65536		CLASSIC		OMNI PEAK		140		7.657		100		6		9		14.306		-0.555		31.702		Yes		9/11/25 8:44		RTK		32		0.96		0.56		0.79		8397		-1340		Yes		RTK		3D		1		1728		0.85		0.394		0.433		1.874				WME		Water Meter

		UP5630		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5630		9/11/25 8:45		3728'6.5194"N		794'14.4175"W		123.62		980851.47		0		UNKNOWN		667		65536		CLASSIC		OMNI PEAK		140		4.591		100		-12		8		18.451		-1.517		-33.522		Yes		9/11/25 8:45		RTK		29		1.06		0.61		0.87		8590		-1340		Yes		RTK		3D		0.6		1728		0.948		0.551		0.591		2.192				WME		Water Meter

		UP5631		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5631		9/11/25 8:48		3728'7.3303"N		794'16.3989"W		179.507		981030.977		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		3.01		100		15		7		13.821		0.135		80.027		Yes		9/11/25 8:48		FLOAT RTK		28		1.02		0.58		0.84		8820		-1340		Yes		FLOAT RTK		3D		0.6		1728		4.049		3.681		0.63		10.945				WME		Water Meter

		UP5632		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5632		9/11/25 8:49		3728'8.8698"N		794'18.2484"W		215.804		981246.78		0		UNKNOWN		10		65536		CLASSIC		OMNI PEAK		140		42.425		100		-3		12		13.326		0.051		53.735		Yes		9/11/25 8:49		RTK		28		1.02		0.58		0.84		8998		-1340		Yes		RTK		3D		0.6		1728		1.388		0.948		0.591		3.362				WME		Water Meter

		UP5633		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5633		9/11/25 8:50		3728'12.9590"N		794'21.7709"W		502.54		981749.32		0		UNKNOWN		45		65536		CLASSIC		OMNI PEAK		140		48.045		100		21		5		10.607		-0.817		-44.825		Yes		9/11/25 8:50		RTK		29		1.05		0.58		0.87		9355		-1340		Yes		RTK		3D		0.4		1728		1.512		1.388		0.709		4.105				WME		Water Meter

		UP5634		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5634		9/11/25 8:52		3728'13.5104"N		794'22.1956"W		65.559		981814.879		0		UNKNOWN		30		65536		CLASSIC		OMNI PEAK		140		53.074		100		0		13		12.093		2.666		11.256		Yes		9/11/25 8:52		RTK		30		1.04		0.58		0.87		9357		-1340		Yes		RTK		3D		1		1728		1.05		0.759		0.551		2.59				WME		Water Meter

		UP5635		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5635		9/11/25 8:53		3728'14.4491"N		794'23.9781"W		172.246		981987.125		0		UNKNOWN		15		65536		CLASSIC		OMNI PEAK		140		96.765		100		-32		11		11.537		1.199		8.307		Yes		9/11/25 8:53		RTK		31		1		0.58		0.82		9348		-1340		Yes		RTK		3D		1		1728		0.948		0.591		0.512		2.233				WME		Water Meter

		UP5636		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5636		9/11/25 8:57		3728'14.7291"N		794'24.9922"W		86.455		982073.581		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		89.873		100		0		11		12.377		0.651		-73.301		Yes		9/11/25 8:57		RTK		31		0.99		0.58		0.8		9396		-1340		Yes		RTK		3D		0.4		1728		0.551		0.472		0.394		1.452				WME		Water Meter

		UP5637		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5637		9/11/25 8:59		3728'15.4021"N		794'29.7192"W		386.675		982460.256		0		UNKNOWN		43		65536		CLASSIC		OMNI PEAK		140		43.242		100		-3		7		15.114		2.363		23.36		Yes		9/11/25 8:59		RTK		32		0.98		0.58		0.8		9333		-1340		Yes		RTK		3D		1		1728		0.591		0.551		0.433		1.616				WME		Water Meter

		UP5638		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5638		9/11/25 9:00		3728'15.6926"N		794'31.1864"W		121.76		982582.016		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		140		100		100		-12		11		10.622		-2.196		-0.396		Yes		9/11/25 9:00		RTK		31		1.01		0.6		0.81		9234		-1340		Yes		RTK		3D		1		1728		0.591		0.512		0.433		1.563				WME		Water Meter

		UP5639		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5639		9/11/25 9:05		3728'19.7049"N		794'31.4878"W		407.772		982989.788		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		100		100		2		10		9.116		2.178		-3.315		Yes		9/11/25 9:05		RTK		32		0.93		0.56		0.74		8994		-1340		Yes		RTK		3D		0.4		1728		1.157		0.85		0.591		2.873				WME		Water Meter

		UP5640		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5640		9/11/25 9:06		3728'21.3978"N		794'30.3227"W		195.693		983185.481		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		40.694		100		0		12		11.946		-3.406		37.692		Yes		9/11/25 9:06		RTK		32		0.93		0.56		0.74		8911		-1340		Yes		RTK		3D		0.8		1728		0.551		0.472		0.433		1.452				WME		Water Meter

		UP5641		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5641		9/11/25 9:09		3728'22.8731"N		794'29.1726"W		175.998		983361.479		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		15.273		100		3		10		10.362		-2.855		-26.409		Yes		9/11/25 9:09		RTK		32		0.95		0.57		0.76		8852		-1340		Yes		RTK		3D		1		1728		0.948		0.512		0.512		2.154				WME		Water Meter

		UP5642		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5642		9/11/25 9:09		3728'24.0008"N		794'28.2423"W		136.749		983498.228		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		24.003		100		1		11		8.464		2.026		-88.191		Yes		9/11/25 9:09		RTK		32		1.04		0.62		0.84		8755		-1340		Yes		RTK		3D		1.2		1728		2.688		0.759		0.748		5.585				WME		Water Meter

		UP5643		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5643		9/11/25 9:11		3728'24.4280"N		794'28.7419"W		59.128		983557.356		0		UNKNOWN		56		65536		CLASSIC		OMNI PEAK		140		77.137		100		0		10		11.922		-3.887		-59.671		Yes		9/11/25 9:11		RTK		30		1.09		0.63		0.89		8746		-1340		Yes		RTK		3D		1.2		1728		1.913		1.157		0.827		4.472				WME		Water Meter

		UP5644		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5644		9/11/25 9:15		3728'21.4190"N		794'31.0189"W		356.086		983913.443		0		UNKNOWN		16		65536		CLASSIC		OMNI PEAK		140		100		100		6		11		9.659		-0.561		22.996		Yes		9/11/25 9:15		RTK		31		1.16		0.66		0.95		8922		-1340		Yes		RTK		3D		0.6		1728		1.774		1.512		0.709		4.662				WME		Water Meter

		UP5645		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5645		9/11/25 9:17		3728'20.5608"N		794'31.5933"W		98.584		984012.027		0		UNKNOWN		44		65536		CLASSIC		OMNI PEAK		140		85.697		100		1		6		11.661		-3.137		-15.388		Yes		9/11/25 9:17		RTK		31		1.15		0.66		0.95		8957		-1340		Yes		RTK		3D		0.6		1728		0.948		0.759		0.512		2.427				WME		Water Meter

		UP5646		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5646		9/11/25 9:18		3728'19.3238"N		794'32.7502"W		156.286		984168.313		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		63.641		100		-4		10		10.904		1.741		-59.703		Yes		9/11/25 9:18		RTK		31		1.15		0.66		0.95		9076		-1340		Yes		RTK		3D		0.8		1728		0.512		0.394		0.394		1.291				WME		Water Meter

		UP5647		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5647		9/11/25 9:20		3728'18.0022"N		794'33.7721"W		157.307		984325.62		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		1.428		100		-5		11		13.219		-2.205		68.435		Yes		9/11/25 9:20		RTK		31		1.15		0.66		0.95		9212		-1340		Yes		RTK		3D		1.2		1728		1.05		0.759		0.551		2.59				WME		Water Meter

		UP5648		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5648		9/11/25 9:21		3728'16.8484"N		794'34.5542"W		132.921		984458.541		0		UNKNOWN		105		65536		CLASSIC		OMNI PEAK		140		69.244		100		-1		11		15.151		0.178		-54.916		Yes		9/11/25 9:21		RTK		31		1.07		0.63		0.86		9294		-1340		Yes		RTK		3D		1.2		1728		0.433		0.382		0.394		1.155				WME		Water Meter

		UP5649		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5649		9/11/25 9:26		3728'19.1642"N		794'42.2468"W		662.447		985120.988		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		22.056		100		19		6		9.493		4.466		13.57		Yes		9/11/25 9:26		RTK		30		1.15		0.66		0.94		9438		-1340		Yes		RTK		3D		0.8		1728		0.591		0.433		0.394		1.465				WME		Water Meter

		UP5650		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5650		9/11/25 9:29		3728'20.1586"N		794'44.9573"W		240.426		985361.414		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		100		100		5		8		16.214		-2.062		-66.641		Yes		9/11/25 9:29		RTK		29		1.15		0.66		0.93		9495		-1340		Yes		RTK		3D		0.4		1728		0.472		0.433		0.394		1.282				WME		Water Meter

		UP5651		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5651		9/11/25 9:30		3728'20.2314"N		794'45.6921"W		59.621		985421.035		0		UNKNOWN		33		65536		CLASSIC		OMNI PEAK		140		75.444		100		17		11		8.39		0.595		-31.56		Yes		9/11/25 9:30		RTK		29		1.14		0.66		0.93		9491		-1340		Yes		RTK		3D		1.4		1728		1.512		1.157		0.63		3.808				WME		Water Meter

		UP5652		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5652		9/11/25 9:31		3728'20.2980"N		794'46.0688"W		31.074		985452.109		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		35.56		100		-1		11		10.62		-5.471		-2.321		Yes		9/11/25 9:31		FLOAT RTK		28		1.14		0.66		0.93		9498		-1340		Yes		FLOAT RTK		3D		1		1728		4.417		3.313		0.63		11.043				WME		Water Meter

		UP5653		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5653		9/11/25 9:33		3728'22.4991"N		795'6.1736"W		1634.079		987086.188		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		140		100		100		6		6		14.726		-0.203		0.679		Yes		9/11/25 9:33		RTK		28		1.14		0.66		0.93		9421		-1340		Yes		RTK		3D		0.8		1728		0.759		0.512		0.472		1.83				WME		Water Meter

		UP5654		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5654		9/11/25 9:38		3728'42.2049"N		795'10.5178"W		2029.529		989115.717		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		0		12		12.954		-3.454		-48.286		Yes		9/11/25 9:38		RTK		28		1.13		0.66		0.92		8739		-1340		Yes		RTK		3D		0.8		1728		1.05		0.759		0.551		2.59				WME		Water Meter

		UP5655		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5655		9/11/25 9:42		3728'45.6638"N		795'11.9315"W		368.899		989484.616		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		33.27		100		-630		6		11.869		2.623		51.622		Yes		9/11/25 9:42		RTK		27		1.35		0.8		1.09		9205		-1340		Yes		RTK		3D		1		1728		1.64		0.759		0.709		3.615				WME		Water Meter

		UP5656		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5656		9/11/25 9:43		3728'47.1426"N		795'12.5677"W		158.53		989643.146		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		100		100		8		5		11.697		0.554		-82.703		Yes		9/11/25 9:43		RTK		29		1.12		0.66		0.91		9345		-1340		Yes		RTK		3D		1		1728		0.948		0.512		0.512		2.154				WME		Water Meter

		UP5657		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5657		9/11/25 9:45		3728'48.1789"N		795'13.4419"W		126.52		989769.666		0		UNKNOWN		18		65536		CLASSIC		OMNI PEAK		140		88.652		100		4		9		13.805		1.721		-68.159		Yes		9/11/25 9:45		RTK		30		1.12		0.66		0.9		9477		-1340		Yes		RTK		3D		1		1728		1.64		0.948		0.748		3.789				WME		Water Meter

		UP5658		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5658		9/11/25 9:47		3728'49.0490"N		795'14.4355"W		119.118		989888.784		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		29.04		100		-6		5		11.774		2.854		-34.38		Yes		9/11/25 9:47		RTK		27		1.12		0.66		0.9		9521		-1340		Yes		RTK		3D		0.4		1728		0.591		0.512		0.433		1.563				WME		Water Meter

		UP5659		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5659		9/11/25 9:48		3728'48.5863"N		795'14.8055"W		55.592		989944.376		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		94.028		100		-5		11		12.555		-0.995		-16.362		Yes		9/11/25 9:48		RTK		30		1.16		0.67		0.94		9511		-1340		Yes		RTK		3D		1.2		1728		1.157		0.759		0.512		2.768				WME		Water Meter

		UP5660		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5660		9/11/25 9:49		3728'50.6709"N		795'16.0980"W		235.701		990180.077		0		UNKNOWN		30		65536		CLASSIC		OMNI PEAK		140		100		100		-1		9		11.17		-2.037		26.546		Yes		9/11/25 9:49		RTK		29		1.03		0.62		0.82		9545		-1340		Yes		RTK		3D		0.6		1728		0.759		0.472		0.433		1.787				WME		Water Meter

		UP5661		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5661		9/11/25 9:54		3728'48.5843"N		795'14.8081"W		235.792		990415.869		0		UNKNOWN		163		65536		CLASSIC		OMNI PEAK		140		81.442		100		-1		11		13.221		-0.936		-36.544		Yes		9/11/25 9:54		RTK		29		1.12		0.64		0.91		9507		-1340		Yes		RTK		3D		1		1728		1.157		0.85		0.63		2.873				WME		Water Meter

		UP5662		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5662		9/11/25 9:57		3728'34.4413"N		795'10.3339"W		1479.336		991895.205		0		UNKNOWN		29		65536		CLASSIC		OMNI PEAK		140		100		100		3		12		14.755		1.018		61.05		Yes		9/11/25 9:57		RTK		29		1.12		0.64		0.92		9455		-1340		Yes		RTK		3D		0.4		1728		2.207		0.591		0.63		4.57				WME		Water Meter

		UP5663		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5663		9/11/25 9:59		3728'31.3478"N		795'10.5615"W		314.366		992209.571		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		100		100		-1		11		15.01		-0.992		-85.346		Yes		9/11/25 9:59		RTK		26		1.28		0.68		1.09		9609		-1340		Yes		RTK		3D		1.2		1728		0.591		0.472		0.512		1.513				WME		Water Meter

		UP5664		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5664		9/11/25 10:00		3728'22.9952"N		795'13.1319"W		872.279		993081.85		0		UNKNOWN		58		65536		CLASSIC		OMNI PEAK		140		75.806		100		-14		9		12.834		1.758		9.171		Yes		9/11/25 10:00		RTK		25		1.29		0.71		1.08		9724		-1340		Yes		RTK		3D		1.4		1728		1.157		0.85		0.709		2.873				WME		Water Meter

		UP5665		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5665		9/11/25 10:04		3728'22.0706"N		795'13.0641"W		93.963		993175.813		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		3		10		6.619		-1.508		18.747		Yes		9/11/25 10:04		RTK		26		1.18		0.64		0.99		9739		-1340		Yes		RTK		3D		1.2		1728		1.157		0.948		0.669		2.992				WME		Water Meter

		UP5666		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5666		9/11/25 10:06		3728'19.7588"N		795'14.3096"W		255.076		993430.888		0		UNKNOWN		10		65536		CLASSIC		OMNI PEAK		140		100		100		1		11		13.132		-2.89		15.934		Yes		9/11/25 10:06		RTK		28		1.18		0.64		1		9833		-1340		Yes		RTK		3D		0.6		1728		0.551		0.512		0.394		1.504				WME		Water Meter

		UP5667		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5667		9/11/25 10:06		3728'18.8088"N		795'15.2063"W		120.423		993551.311		0		UNKNOWN		93		65536		CLASSIC		OMNI PEAK		140		27.493		100		-2		12		10.555		0.068		39.129		Yes		9/11/25 10:06		RTK		28		1.19		0.64		1		9845		-1340		Yes		RTK		3D		0.4		1728		0.672		0.591		0.472		1.789				WME		Water Meter

		UP5668		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5668		9/11/25 10:07		3728'17.9894"N		795'16.4408"W		129.572		993680.883		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		100		100		-1		11		10.53		-2.758		-25.324		Yes		9/11/25 10:07		RTK		28		1.19		0.64		1.01		9852		-1340		Yes		RTK		3D		0.8		1728		0.672		0.551		0.472		1.738				WME		Water Meter

		UP5669		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5669		9/11/25 10:07		3728'17.7907"N		795'16.7109"W		29.658		993710.541		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		43.459		100		0		12		9.492		-0.635		49.494		Yes		9/11/25 10:07		RTK		28		1.19		0.64		1.01		9854		-1340		Yes		RTK		3D		0.4		1728		0.472		0.433		0.394		1.282				WME		Water Meter

		UP5670		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5670		9/11/25 10:12		3728'17.1137"N		795'21.5552"W		396.048		994106.589		0		UNKNOWN		10		65536		CLASSIC		OMNI PEAK		140		100		100		0		12		13.041		-1.9		-33.39		Yes		9/11/25 10:12		RTK		28		1.21		0.63		1.03		9876		-1339		Yes		RTK		3D		0.8		1728		0.433		0.386		0.394		1.16				WME		Water Meter

		UP5671		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5671		9/11/25 10:13		3728'18.4244"N		795'21.8907"W		135.683		994242.272		0		UNKNOWN		27		65536		CLASSIC		OMNI PEAK		140		81.154		100		33		10		14.368		-0.032		12.745		Yes		9/11/25 10:13		RTK		28		1.47		0.73		1.27		9862		-1339		Yes		RTK		3D		1		1728		0.591		0.472		0.433		1.513				WME		Water Meter

		UP5672		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5672		9/11/25 10:15		3728'21.7119"N		795'23.6934"W		363.741		994606.013		0		UNKNOWN		52		65536		CLASSIC		OMNI PEAK		140		94.172		100		7		11		11.378		1.008		-57.964		Yes		9/11/25 10:15		RTK		28		1.22		0.63		1.04		9767		-1339		Yes		RTK		3D		1		1728		0.551		0.512		0.472		1.504				WME		Water Meter

		UP5673		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5673		9/11/25 10:16		3728'22.6700"N		795'24.9082"W		137.895		994743.908		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		-3		11		11.973		-2.366		23.077		Yes		9/11/25 10:16		RTK		28		1.22		0.63		1.05		9833		-1339		Yes		RTK		3D		0.4		1728		2.207		1.27		0.787		5.094				WME		Water Meter

		UP5674		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5674		9/11/25 10:18		3728'24.8203"N		795'27.9519"W		328.087		995071.995		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		92.259		100		0		13		6.495		-5.862		-57.163		Yes		9/11/25 10:18		RTK		28		1.23		0.63		1.06		9777		-1339		Yes		RTK		3D		0.4		1728		1.388		0.759		0.551		3.164				WME		Water Meter

		UP5675		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5675		9/11/25 10:19		3728'24.9945"N		795'28.5699"W		52.805		995124.8		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		21.506		100		0		8		8.172		0.347		15.83		Yes		9/11/25 10:19		FLOAT RTK		28		1.23		0.63		1.06		9780		-1339		Yes		FLOAT RTK		3D		0.6		1728		2.945		2.577		0.472		7.826				WME		Water Meter

		UP5676		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5676		9/11/25 10:19		3728'24.9991"N		795'28.5901"W		1.691		995126.491		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		6		12		10.232		-3.432		39.418		Yes		9/11/25 10:19		RTK		28		1.23		0.63		1.06		9779		-1339		Yes		RTK		3D		5.6		1728		2.688		2.207		0.866		6.956				WME		Water Meter

		UP5677		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5677		9/11/25 10:20		3728'25.3736"N		795'29.1992"W		62.042		995188.533		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		41.364		100		2		9		13.382		-0.798		-35.923		Yes		9/11/25 10:20		RTK		26		1.23		0.64		1.05		9806		-1339		Yes		RTK		3D		0.8		1728		1.27		0.759		0.591		2.959				WME		Water Meter

		UP5678		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5678		9/11/25 10:21		3728'26.0814"N		795'30.4036"W		120.656		995309.189		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		55.589		100		-6		12		10.953		-1.871		-27.175		Yes		9/11/25 10:21		RTK		29		1.16		0.61		0.98		9836		-1339		Yes		RTK		3D		0.8		1728		1.27		0.85		0.591		3.057				WME		Water Meter

		UP5679		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5679		9/11/25 10:22		3728'26.7001"N		795'31.3942"W		101.496		995410.684		0		UNKNOWN		23		65536		CLASSIC		OMNI PEAK		140		100		100		-2		9		8.489		-0.152		-14.471		Yes		9/11/25 10:22		RTK		28		1.08		0.58		0.91		9824		-1339		Yes		RTK		3D		1.2		1728		0.512		0.472		0.394		1.393				WME		Water Meter

		UP5680		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5680		9/11/25 10:26		3728'28.2188"N		795'33.5604"W		232.716		995643.401		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		100		100		1		10		16.297		-0.715		30.523		Yes		9/11/25 10:26		RTK		29		1.17		0.61		1		9885		-1339		Yes		RTK		3D		1.2		1728		1.157		0.591		0.551		2.599				WME		Water Meter

		UP5681		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5681		9/11/25 10:27		3728'29.1887"N		795'35.0105"W		152.691		995796.092		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		93.624		100		-6		8		11.447		0.383		64.977		Yes		9/11/25 10:27		RTK		27		1.17		0.61		1		9920		-1339		Yes		RTK		3D		1.2		1728		0.591		0.472		0.551		1.513				WME		Water Meter

		UP5682		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5682		9/11/25 10:29		3728'30.0551"N		795'36.0135"W		119.354		995915.446		0		UNKNOWN		74		65536		CLASSIC		OMNI PEAK		140		53.409		100		-2		10		16.227		-2.553		29.019		Yes		9/11/25 10:29		RTK		29		1.17		0.6		1.01		9922		-1339		Yes		RTK		3D		1		1728		1.27		0.759		0.591		2.959				WME		Water Meter

		UP5683		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5683		9/11/25 10:30		3728'30.9074"N		795'37.1684"W		126.982		996042.429		0		UNKNOWN		41		65536		CLASSIC		OMNI PEAK		140		93.207		100		5		11		14.387		-3.672		65.521		Yes		9/11/25 10:30		RTK		29		1.18		0.6		1.01		9957		-1339		Yes		RTK		3D		1.2		1728		1.388		0.85		0.512		3.256				WME		Water Meter

		UP5684		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5684		9/11/25 10:31		3728'31.8557"N		795'39.0372"W		178.585		996221.013		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		-1		9		12.401		-0.515		62.011		Yes		9/11/25 10:31		RTK		28		1.18		0.6		1.01		10012		-1339		Yes		RTK		3D		0.8		1728		0.672		0.512		0.472		1.689				WME		Water Meter

		UP5685		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5685		9/11/25 10:34		3728'34.4655"N		795'39.9849"W		275.537		996496.55		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		100		100		12		11		12.616		0.507		-28.05		Yes		9/11/25 10:34		RTK		30		1.18		0.6		1.02		9996		-1339		Yes		RTK		3D		1		1728		0.85		0.551		0.512		2.027				WME		Water Meter

		UP5686		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5686		9/11/25 10:36		3728'36.0063"N		795'37.9139"W		228.561		996725.111		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		36.421		100		10		9		12.331		-1.543		-13.4		Yes		9/11/25 10:36		RTK		30		1.18		0.6		1.02		9848		-1339		Yes		RTK		3D		1.2		1728		0.512		0.37		0.394		1.263				WME		Water Meter

		UP5687		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5687		9/11/25 10:36		3728'36.5981"N		795'37.1415"W		86.438		996811.549		0		UNKNOWN		19		65536		CLASSIC		OMNI PEAK		140		100		100		-3		8		12.228		-0.73		27.128		Yes		9/11/25 10:36		RTK		30		1.18		0.6		1.02		9802		-1339		Yes		RTK		3D		1.2		1728		0.759		0.512		0.512		1.83				WME		Water Meter

		UP5688		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5688		9/11/25 10:38		3728'35.4277"N		795'34.5935"W		237.029		997048.578		0		UNKNOWN		10		65536		CLASSIC		OMNI PEAK		140		100		100		1		9		11.029		-3.214		-31.048		Yes		9/11/25 10:38		FLOAT RTK		30		1.18		0.6		1.02		9753		-1339		Yes		FLOAT RTK		3D		0.6		1728		2.761		2.577		0.433		7.553				WME		Water Meter

		UP5689		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5689		9/11/25 10:39		3728'34.8564"N		795'33.8169"W		85.252		997133.83		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		100		100		5		13		10.329		1.79		33.765		Yes		9/11/25 10:39		RTK		30		1.1		0.58		0.94		9754		-1339		Yes		RTK		3D		1		1728		0.512		0.433		0.394		1.341				WME		Water Meter

		UP5690		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5690		9/11/25 10:42		3728'34.0411"N		795'32.4074"W		140.427		997274.257		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		47.612		100		3		10		9.445		0.676		23.276		Yes		9/11/25 10:42		RTK		30		1.18		0.6		1.01		9653		-1339		Yes		RTK		3D		0.6		1728		3.79		0.85		0.748		7.769				WME		Water Meter

		UP5691		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5691		9/11/25 10:43		3728'33.5817"N		795'31.7282"W		71.852		997346.109		0		UNKNOWN		10		65536		CLASSIC		OMNI PEAK		140		100		100		-2		10		8.104		-2.095		33.058		Yes		9/11/25 10:43		FLOAT RTK		30		1.18		0.6		1.01		9628		-1339		Yes		FLOAT RTK		3D		0.6		1728		3.313		2.393		0.551		8.173				WME		Water Meter

		UP5692		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5692		9/11/25 10:45		3728'32.9448"N		795'30.7289"W		103.189		997449.298		0		UNKNOWN		282		65536		CLASSIC		OMNI PEAK		140		43.418		100		-17		9		11.607		-2.362		-18.685		Yes		9/11/25 10:45		RTK		31		1.17		0.6		1.01		9469		-1339		Yes		RTK		3D		0.6		1728		1.157		0.85		0.551		2.873				WME		Water Meter

		UP5693		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5693		9/11/25 10:46		3728'32.2432"N		795'29.5996"W		115.468		997564.766		0		UNKNOWN		51		65536		CLASSIC		OMNI PEAK		140		81.767		100		-136		9		14.556		-3.272		65.785		Yes		9/11/25 10:46		RTK		30		1.17		0.6		1.01		9326		-1339		Yes		RTK		3D		1		1728		0.85		0.591		0.512		2.071				WME		Water Meter

		UP5694		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5694		9/11/25 10:47		3728'31.7935"N		795'28.9624"W		68.651		997633.417		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		19.523		100		6		11		9.927		-1.738		-33.695		Yes		9/11/25 10:47		RTK		31		1.09		0.57		0.93		9275		-1339		Yes		RTK		3D		0.6		1728		0.672		0.551		0.472		1.738				WME		Water Meter

		UP5695		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5695		9/11/25 10:49		3728'30.7083"N		795'27.2143"W		178.696		997812.113		0		UNKNOWN		26		65536		CLASSIC		OMNI PEAK		140		100		100		-1		11		11.358		-2.804		-90.022		Yes		9/11/25 10:49		RTK		31		1.09		0.57		0.92		9325		-1339		Yes		RTK		3D		1.2		1728		1.774		1.388		0.63		4.506				WME		Water Meter

		UP5696		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5696		9/11/25 10:50		3728'30.4512"N		795'26.1437"W		90.051		997902.164		0		UNKNOWN		1479		65536		CLASSIC		OMNI PEAK		140		91.78		100		23		10		11.67		-0.808		-4.911		Yes		9/11/25 10:50		RTK		30		1.17		0.6		1		9484		-1339		Yes		RTK		3D		1.2		1728		1.913		0.759		0.709		4.117				WME		Water Meter

		UP5697		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5697		9/11/25 10:52		3728'30.4419"N		795'24.8150"W		106.981		998009.145		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		100		100		1		11		16.609		5.222		27.542		Yes		9/11/25 10:52		RTK		31		1.02		0.55		0.86		9596		-1339		Yes		RTK		3D		0.8		1728		0.551		0.551		0.472		1.559				WME		Water Meter

		UP5698		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5698		9/11/25 10:53		3728'30.7899"N		795'23.1578"W		138.026		998147.171		0		UNKNOWN		140		65536		CLASSIC		OMNI PEAK		140		49.692		100		-5		10		17.77		-9.897		60.313		Yes		9/11/25 10:53		RTK		31		1.02		0.55		0.86		9674		-1339		Yes		RTK		3D		0.6		1728		1.27		0.85		0.669		3.057				WME		Water Meter

		UP5699		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5699		9/11/25 10:54		3728'30.8478"N		795'22.9847"W		15.121		998162.291		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		100		100		0		7		16.264		-1.209		-22.656		Yes		9/11/25 10:54		RTK		31		1.02		0.55		0.86		9663		-1339		Yes		RTK		3D		1.2		1728		0.85		0.759		0.433		2.279				WME		Water Meter

		UP5700		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5700		9/11/25 10:54		3728'31.5810"N		795'22.0203"W		107.522		998269.814		0		UNKNOWN		23		65536		CLASSIC		OMNI PEAK		140		100		100		-1		7		10.632		0.326		36.275		Yes		9/11/25 10:54		RTK		31		1.02		0.55		0.86		9632		-1339		Yes		RTK		3D		0.8		1728		0.551		0.551		0.433		1.559				WME		Water Meter

		UP5701		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5701		9/11/25 10:55		3728'31.8337"N		795'22.2284"W		30.626		998300.44		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		-1		7		13.79		3.977		-30.241		Yes		9/11/25 10:55		RTK		31		1.02		0.55		0.85		9607		-1339		Yes		RTK		3D		0.8		1728		0.433		0.354		0.394		1.119				WME		Water Meter

		UP5702		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5702		9/11/25 10:56		3728'31.6764"N		795'23.0036"W		64.417		998364.857		0		UNKNOWN		25		65536		CLASSIC		OMNI PEAK		140		100		100		4		9		9.925		-1.799		-27.701		Yes		9/11/25 10:56		RTK		30		1.01		0.55		0.85		9598		-1339		Yes		RTK		3D		1.6		1728		0.591		0.433		0.394		1.465				WME		Water Meter

		UP5703		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5703		9/11/25 10:56		3728'31.2394"N		795'23.8021"W		78.099		998442.956		0		UNKNOWN		22		65536		CLASSIC		OMNI PEAK		140		100		100		2		6		12.358		4.352		42.435		Yes		9/11/25 10:56		RTK		30		1.01		0.55		0.85		9602		-1339		Yes		RTK		3D		1.2		1728		1.157		0.759		0.472		2.768				WME		Water Meter

		UP5704		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5704		9/11/25 10:58		3728'31.0337"N		795'25.5851"W		145.058		998588.014		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		37.834		100		7		10		15.676		4.638		-61.196		Yes		9/11/25 10:58		RTK		31		1.01		0.55		0.85		9515		-1339		Yes		RTK		3D		0.8		1728		0.433		0.386		0.394		1.16				WME		Water Meter

		UP5705		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5705		9/11/25 10:58		3728'31.1033"N		795'26.3772"W		64.166		998652.181		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		11.156		100		0		13		13.608		3.306		-45.013		Yes		9/11/25 10:59		RTK		31		1.01		0.55		0.85		9431		-1339		Yes		RTK		3D		1.2		1728		1.05		0.85		0.512		2.702				WME		Water Meter

		UP5706		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5706		9/11/25 11:04		3728'35.9941"N		795'26.0394"W		496.924		999149.105		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		3.841		100		1		9		10.643		-0.617		-3.915		Yes		9/11/25 11:04		RTK		29		1.1		0.62		0.91		8853		-1339		Yes		RTK		3D		1.2		1876		1.27		1.157		0.591		3.437				WME		Water Meter

		UP5707		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5707		9/11/25 11:08		3728'41.1446"N		795'22.4385"W		597.552		999746.657		0		UNKNOWN		25		65536		CLASSIC		OMNI PEAK		140		100		100		-2		12		12.135		0.279		86.25		Yes		9/11/25 11:08		FLOAT RTK		32		0.91		0.52		0.74		8801		-1339		Yes		FLOAT RTK		3D		1		1876		20.246		17.853		2.874		53.987				WME		Water Meter

		UP5708		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5708		9/11/25 11:09		3728'41.9978"N		795'22.4357"W		86.564		999833.221		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		76.598		100		0		10		15.512		-2.595		5.61		Yes		9/11/25 11:09		RTK		32		0.93		0.53		0.76		8818		-1339		Yes		RTK		3D		1.2		1876		0.672		0.551		0.433		1.738				WME		Water Meter

		UP5709		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5709		9/11/25 11:09		3728'43.0449"N		795'23.0297"W		116.494		999949.715		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		-7		8		17.37		-3.304		65.262		Yes		9/11/25 11:09		RTK		31		0.95		0.54		0.78		8911		-1339		Yes		RTK		3D		1		1876		0.591		0.512		0.394		1.563				WME		Water Meter

		UP5710		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5710		9/11/25 11:13		3728'46.8992"N		795'20.7052"W		433.492		1000383.207		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		15.737		100		9		11		9.449		2.095		37.944		Yes		9/11/25 11:13		RTK		30		0.97		0.56		0.8		9160		-1339		Yes		RTK		3D		1.2		1876		0.759		0.591		0.472		1.923				WME		Water Meter

		UP5711		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5711		9/11/25 11:14		3728'45.5274"N		795'23.5457"W		267.7		1000650.907		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		100		100		6		7		12.123		1.085		-19.003		Yes		9/11/25 11:14		RTK		31		0.99		0.57		0.81		9038		-1339		Yes		RTK		3D		0.8		1876		0.591		0.433		0.433		1.465				WME		Water Meter

		UP5712		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5712		9/11/25 11:17		3728'45.3526"N		795'19.2940"W		342.757		1000993.664		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		100		100		2		12		12.584		0.088		-8.305		Yes		9/11/25 11:17		RTK		31		1.04		0.6		0.85		9210		-1339		Yes		RTK		3D		1.4		1876		1.27		1.05		0.591		3.296				WME		Water Meter

		UP5713		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5713		9/11/25 11:20		3728'43.5791"N		795'17.7973"W		216.55		1001210.214		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		1.812		100		-17		7		12.335		-6.32		19.376		Yes		9/11/25 11:20		RTK		32		0.93		0.55		0.76		9035		-1340		Yes		RTK		3D		1.2		1876		0.759		0.551		0.472		1.875				WME		Water Meter

		UP5714		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5714		9/11/25 11:22		3728'40.5204"N		795'12.8874"W		502.544		1001712.758		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		21.451		100		12		8		6.683		-0.255		42.279		Yes		9/11/25 11:22		RTK		31		1.03		0.6		0.83		8553		-1340		Yes		RTK		3D		1.2		1876		1.05		0.551		0.472		2.372				WME		Water Meter

		UP5715		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5715		9/11/25 11:23		3728'41.1143"N		795'13.0836"W		62.296		1001775.053		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		17.07		100		2		10		14.582		-0.396		-69.747		Yes		9/11/25 11:23		RTK		32		0.96		0.56		0.78		8608		-1340		Yes		RTK		3D		0.6		1876		0.85		0.551		0.433		2.027				WME		Water Meter

		UP5716		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5716		9/11/25 11:26		3728'41.0809"N		795'14.9231"W		148.136		1001923.19		0		UNKNOWN		71		65536		CLASSIC		OMNI PEAK		140		62.329		100		-26		11		17.046		-3.056		73.918		Yes		9/11/25 11:26		RTK		31		0.96		0.57		0.77		8624		-1340		Yes		RTK		3D		1.4		1876		1.512		0.85		0.669		3.469				WME		Water Meter

		UP5717		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5717		9/11/25 11:27		3728'44.3790"N		795'16.6205"W		361.426		1002284.616		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		10.05		100		-3		11		11.171		1.169		-28.503		Yes		9/11/25 11:27		FLOAT RTK		32		0.94		0.55		0.76		9168		-1340		Yes		FLOAT RTK		3D		0.8		1876		27.608		23.927		3.622		73.068				WME		Water Meter

		UP5718		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5718		9/11/25 11:28		3728'44.5325"N		795'15.8582"W		63.323		1002347.939		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		23.167		100		8		9		13.986		0.338		-17.561		Yes		9/11/25 11:28		RTK		31		0.98		0.57		0.8		9125		-1340		Yes		RTK		3D		1		1876		0.948		0.85		0.551		2.546				WME		Water Meter

		UP5719		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		5719		9/11/25 11:30		3728'44.8944"N		795'14.8081"W		92.167		1002440.106		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		42.713		100		-12		8		11.715		-1.693		-55.663		Yes		9/11/25 11:30		DGPS SPS VALID		31		0.88		0.5		0.73		9189		-1340		Yes		DIFFERENTIAL		3D		0		131		19.134		14.988		14.173		48.611				WME		Water Meter

		UP5720		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5720		9/11/25 11:33		3728'44.8737"N		795'14.7834"W		2.894		1002443		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.589		100		70		6		14.747		2.608		-30.462		Yes		9/11/25 11:33		RTK		28		1.03		0.58		0.85		9195		-1340		Yes		RTK		3D		3.2		1914		0.85		0.591		0.472		2.071				WME		Water Meter

		UP5721		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5721		9/11/25 11:34		3728'45.3000"N		795'14.6667"W		44.257		1002487.257		0		UNKNOWN		35		65536		CLASSIC		OMNI PEAK		140		11.486		100		-1		7		14.703		-1.501		66.643		Yes		9/11/25 11:34		RTK		28		0.99		0.57		0.81		9225		-1340		Yes		RTK		3D		1		1914		1.388		0.672		0.551		3.085				WME		Water Meter

		UP5722		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5722		9/11/25 11:34		3728'45.7017"N		795'15.0445"W		50.852		1002538.108		0		UNKNOWN		16		65536		CLASSIC		OMNI PEAK		140		21.344		100		-54		10		12.433		-1.667		62.647		Yes		9/11/25 11:34		FLOAT RTK		29		1		0.58		0.82		9285		-1340		Yes		FLOAT RTK		3D		0.8		1914		5.154		3.865		0.945		12.884				WME		Water Meter

		UP5723		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5723		9/11/25 11:35		3728'44.9254"N		795'16.6345"W		150.291		1002688.399		0		UNKNOWN		61		65536		CLASSIC		OMNI PEAK		140		16.638		100		-14		10		8.79		-0.919		-3.659		Yes		9/11/25 11:35		RTK		29		1		0.58		0.82		9148		-1340		Yes		RTK		3D		0.8		1914		1.64		1.05		0.669		3.895				WME		Water Meter

		UP5724		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5724		9/11/25 11:36		3728'46.6886"N		795'19.6266"W		300.04		1002988.439		0		UNKNOWN		16		65536		CLASSIC		OMNI PEAK		140		100		100		-2		10		11.646		-2.088		-29.857		Yes		9/11/25 11:36		FLOAT RTK		29		1.09		0.61		0.9		9177		-1339		Yes		FLOAT RTK		3D		1		1914		25.768		23.927		3.937		70.327				WME		Water Meter

		UP5725		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5725		9/11/25 11:38		3728'48.5838"N		795'18.7406"W		205.07		1003193.509		0		UNKNOWN		393		65536		CLASSIC		OMNI PEAK		140		21.123		100		-18		9		12.091		-0.912		-37.021		Yes		9/11/25 11:38		RTK		31		1.05		0.62		0.84		9341		-1340		Yes		RTK		3D		1		1914		0.759		0.591		0.551		1.923				WME		Water Meter

		UP5726		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5726		9/11/25 11:41		3728'52.4893"N		795'17.4372"W		409.879		1003603.388		0		UNKNOWN		19		65536		CLASSIC		OMNI PEAK		140		72.649		100		0		12		14.627		-0.051		63.851		Yes		9/11/25 11:41		FLOAT RTK		31		1.11		0.65		0.9		9577		-1340		Yes		FLOAT RTK		3D		0.8		1914		4.233		3.129		0.63		10.528				WME		Water Meter

		UP5727		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5727		9/11/25 11:42		3728'57.0727"N		795'22.7370"W		631.075		1004234.463		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		5.395		100		-9		11		10.584		-2.801		37.592		Yes		9/11/25 11:42		RTK		31		1.04		0.62		0.83		9751		-1339		Yes		RTK		3D		4.4		1914		0.948		0.472		0.433		2.118				WME		Water Meter

		UP5728		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5728		9/11/25 11:45		3728'57.4874"N		795'23.1141"W		51.876		1004286.339		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		25.13		100		0		10		13.478		-2.921		-47.229		Yes		9/11/25 11:45		RTK		30		1.09		0.63		0.89		9780		-1339		Yes		RTK		3D		1		1914		1.64		0.759		0.63		3.615				WME		Water Meter

		UP5729		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5729		9/11/25 11:45		3728'57.5078"N		795'23.1323"W		2.541		1004288.88		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		28.237		100		-4		9		12.652		-0.032		3.8		Yes		9/11/25 11:45		RTK		31		1.09		0.63		0.89		9778		-1339		Yes		RTK		3D		1		1914		0.948		0.512		0.512		2.154				WME		Water Meter

		UP5730		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5730		9/11/25 11:45		3728'57.5277"N		795'23.1510"W		2.515		1004291.395		0		UNKNOWN		42		65536		CLASSIC		OMNI PEAK		140		84.004		100		1		10		11.794		-0.49		4.904		Yes		9/11/25 11:45		RTK		28		1.09		0.63		0.89		9779		-1339		Yes		RTK		3D		1.8		1914		1.512		0.672		0.551		3.309				WME		Water Meter

		UP5731		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5731		9/11/25 11:45		3728'57.5701"N		795'23.1525"W		4.299		1004295.694		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		100		-2		10		12.282		-1.706		41.655		Yes		9/11/25 11:45		RTK		30		1.09		0.63		0.89		9780		-1339		Yes		RTK		3D		0.8		1914		1.27		0.672		0.591		2.874				WME		Water Meter

		UP5732		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5732		9/11/25 11:48		3729'0.4898"N		795'24.0898"W		305.671		1004601.364		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		16.536		100		0		7		10.649		-3.527		-7.018		Yes		9/11/25 11:48		RTK		30		1.1		0.64		0.9		9902		-1339		Yes		RTK		3D		0.4		1914		2.058		0.948		0.669		4.531				WME		Water Meter

		UP5733		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5733		9/11/25 11:48		3729'0.6523"N		795'24.1418"W		17.007		1004618.371		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		100		100		-5		7		10.949		0.401		39.388		Yes		9/11/25 11:48		RTK		30		1.11		0.64		0.9		9905		-1339		Yes		RTK		3D		1.2		1914		0.472		0.331		0.394		1.153				WME		Water Meter

		UP5734		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5734		9/11/25 11:49		3728'58.8102"N		795'23.6132"W		191.665		1004810.036		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		100		100		-39		8		10.639		0.342		-10.702		Yes		9/11/25 11:49		RTK		32		1.11		0.64		0.91		9843		-1339		Yes		RTK		3D		1		1914		0.948		0.591		0.472		2.233				WME		Water Meter

		UP5735		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5735		9/11/25 13:10		3729'8.7761"N		795'31.3234"W		1186.368		1005996.404		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		1.705		100		-1		12		14.929		0.171		25.415		Yes		9/11/25 13:10		FLOAT RTK		23		1.38		0.69		1.2		10191		-1339		Yes		FLOAT RTK		3D		1.4		1998		3.497		2.577		0.866		8.688				WME		Water Meter

		UP5736		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5736		9/11/25 13:11		3729'8.4600"N		795'30.1126"W		102.612		1006099.016		0		UNKNOWN		54		65536		CLASSIC		OMNI PEAK		140		26.427		100		1		12		9.709		1.687		-12.122		Yes		9/11/25 13:11		RTK		26		1.35		0.65		1.18		10120		-1339		Yes		RTK		3D		0.6		1998		0.85		0.472		0.748		1.946				WME		Water Meter

		UP5737		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5737		9/11/25 13:14		3729'11.9289"N		795'34.5226"W		499.874		1006598.89		0		UNKNOWN		254		65536		CLASSIC		OMNI PEAK		140		19.398		100		-67		4		4.549		2.915		-83.06		Yes		9/11/25 13:14		RTK		28		1.29		0.69		1.09		10119		-1339		Yes		RTK		3D		1.4		1998		1.27		0.551		0.748		2.77				WME		Water Meter

		UP5738		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5738		9/11/25 13:15		3729'12.2733"N		795'35.2917"W		71.099		1006669.989		0		UNKNOWN		699		65536		CLASSIC		OMNI PEAK		140		15.514		100		1		11		12.453		-1.914		33.673		Yes		9/11/25 13:15		RTK		28		1.26		0.64		1.09		10088		-1339		Yes		RTK		3D		1.4		1998		0.948		0.433		0.63		2.084				WME		Water Meter

		UP5739		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5739		9/11/25 13:16		3729'12.4537"N		795'37.3106"W		163.545		1006833.534		0		UNKNOWN		22		65536		CLASSIC		OMNI PEAK		140		100		100		-1		8		11.096		0.21		4.198		Yes		9/11/25 13:17		RTK		32		1.23		0.61		1.06		10052		-1339		Yes		RTK		3D		1.2		1998		1.157		0.512		0.787		2.531				WME		Water Meter

		UP5740		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		5740		9/11/25 13:21		3729'15.4675"N		795'43.4929"W		584.089		1007417.623		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		6.333		100		20		9		13.586		-0.769		1.338		Yes		9/11/25 13:21		DGPS SPS VALID		31		1.38		0.63		1.23		10199		-1339		Yes		DIFFERENTIAL		3D		1.4		2024		4.146		3.508		4.724		10.861				WME		Water Meter

		UP5741		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5741		9/11/25 13:21		3729'15.4627"N		795'43.4908"W		0.511		1007418.134		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		10.325		100		1		10		9.863		-3.679		0.213		Yes		9/11/25 13:21		FLOAT RTK		31		1.34		0.62		1.19		10205		-1339		Yes		FLOAT RTK		3D		0.8		2024		9.571		8.835		2.165		26.05				WME		Water Meter

		UP5742		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5742		9/11/25 13:24		3729'6.1387"N		795'28.0259"W		1563.536		1008981.67		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		19.549		100		-4		11		13.803		-0.208		27.151		Yes		9/11/25 13:24		RTK		32		1.22		0.57		1.08		10112		-1339		Yes		RTK		3D		1.4		2024		0.472		0.295		0.433		1.114				WME		Water Meter

		UP5743		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5743		9/11/25 13:26		3729'3.5284"N		795'26.2083"W		302.558		1009284.228		0		UNKNOWN		94		65536		CLASSIC		OMNI PEAK		140		58.865		100		0		9		8.535		-2.098		-13.604		Yes		9/11/25 13:26		RTK		32		1.17		0.55		1.03		10053		-1339		Yes		RTK		3D		0.8		2024		0.85		0.472		0.591		1.946				WME		Water Meter

		UP5744		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5744		9/11/25 13:29		3728'50.0406"N		795'17.6361"W		1532.513		1010816.741		0		UNKNOWN		22		65536		CLASSIC		OMNI PEAK		140		73.815		100		2		11		14.178		-0.169		51.246		Yes		9/11/25 13:29		RTK		31		1.19		0.57		1.04		9488		-1340		Yes		RTK		3D		0.6		2024		0.85		0.433		0.551		1.909				WME		Water Meter

		UP5745		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5745		9/11/25 13:32		3728'49.1658"N		795'22.0595"W		367		1011183.741		0		UNKNOWN		23		65536		CLASSIC		OMNI PEAK		140		99.835		100		-2		11		15.325		-4.059		58.858		Yes		9/11/25 13:32		RTK		32		1.17		0.56		1.03		9283		-1339		Yes		RTK		3D		1		2024		0.759		0.512		0.591		1.83				WME		Water Meter

		UP5746		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5746		9/11/25 13:35		3728'51.7335"N		795'23.2330"W		277.099		1011460.841		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		9.017		100		4		11		13.283		-1.939		81.997		Yes		9/11/25 13:35		RTK		32		1.07		0.51		0.95		9476		-1339		Yes		RTK		3D		1.4		2024		0.551		0.433		0.433		1.402				WME		Water Meter

		UP5747		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5747		9/11/25 13:36		3728'52.5237"N		795'21.6786"W		148.61		1011609.451		0		UNKNOWN		15		65536		CLASSIC		OMNI PEAK		140		80.331		100		3		8		19.244		3.006		10.549		Yes		9/11/25 13:36		RTK		32		1.14		0.53		1		9546		-1339		Yes		RTK		3D		1.4		2024		2.688		1.157		1.063		5.853				WME		Water Meter

		UP5748		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5748		9/11/25 13:37		3728'52.9973"N		795'21.9763"W		53.691		1011663.142		0		UNKNOWN		23		65536		CLASSIC		OMNI PEAK		140		100		100		-1		12		8.847		0.076		-23.366		Yes		9/11/25 13:37		RTK		32		1.1		0.53		0.97		9578		-1339		Yes		RTK		3D		1.4		2024		0.672		0.472		0.551		1.643				WME		Water Meter

		UP5749		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5749		9/11/25 13:37		3728'53.1397"N		795'22.2550"W		26.687		1011689.83		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		10.731		100		18		8		15.304		0.012		-20.701		Yes		9/11/25 13:37		RTK		32		1.11		0.54		0.97		9577		-1339		Yes		RTK		3D		1.2		2024		0.948		0.512		0.591		2.154				WME		Water Meter

		UP5750		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5750		9/11/25 13:38		3728'52.3961"N		795'23.3766"W		117.663		1011807.493		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		28.78		100		-39		10		17.559		-2.713		-12.848		Yes		9/11/25 13:38		RTK		32		1.11		0.53		0.97		9508		-1339		Yes		RTK		3D		0.6		2024		1.512		0.672		0.748		3.309				WME		Water Meter

		UP5751		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5751		9/11/25 13:40		3728'51.8806"N		795'24.2022"W		84.57		1011892.063		0		UNKNOWN		21		65536		CLASSIC		OMNI PEAK		140		100		100		-18		11		12.232		-6.237		-41.307		Yes		9/11/25 13:40		RTK		32		1.1		0.53		0.96		9448		-1339		Yes		RTK		3D		1.4		2024		1.388		0.85		0.748		3.256				WME		Water Meter

		UP5752		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5752		9/11/25 13:43		3728'55.0921"N		795'25.3977"W		339.722		1012231.785		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		7.816		100		-31		6		16.569		2.843		-42.667		Yes		9/11/25 13:43		FLOAT RTK		32		1.1		0.53		0.96		9590		-1339		Yes		FLOAT RTK		3D		1.4		2024		8.098		5.154		0.827		19.198				WME		Water Meter

		UP5753		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		5753		9/11/25 13:44		3728'56.0966"N		795'24.9065"W		109.303		1012341.088		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		100		100		1		10		14.508		-0.967		-19.434		Yes		9/11/25 13:44		DGPS SPS VALID		32		1.17		0.56		1.02		9673		-1339		Yes		DIFFERENTIAL		3D		1.2		2024		6.378		3.189		4.724		14.262				WME		Water Meter

		UP5754		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5754		9/11/25 13:44		3728'56.1090"N		795'24.9010"W		1.34		1012342.427		0		UNKNOWN		426		65536		CLASSIC		OMNI PEAK		140		100		100		-39		5		14.265		-2.009		-14.832		Yes		9/11/25 13:44		RTK		32		1.16		0.56		1.01		9686		-1339		Yes		RTK		3D		0.6		2024		1.27		0.512		0.669		2.739				WME		Water Meter

		UP5755		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5755		9/11/25 13:45		3728'56.2410"N		795'25.8424"W		76.963		1012419.39		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		100		100		-3		10		12.395		-1.138		-72.219		Yes		9/11/25 13:45		FLOAT RTK		32		1.09		0.53		0.96		9678		-1339		Yes		FLOAT RTK		3D		1.2		2024		9.203		7.546		1.654		23.802				WME		Water Meter

		UP5756		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5756		9/11/25 13:47		3728'55.1032"N		795'26.2635"W		120.308		1012539.698		0		UNKNOWN		21		65536		CLASSIC		OMNI PEAK		140		100		100		-1		6		13.53		-0.78		-84.784		Yes		9/11/25 13:47		RTK		31		1.12		0.55		0.97		9604		-1339		Yes		RTK		3D		1		2024		1.512		1.157		0.748		3.808				WME		Water Meter

		UP5757		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5757		9/11/25 13:49		3728'53.8203"N		795'27.0507"W		144.763		1012684.461		0		UNKNOWN		103		65536		CLASSIC		OMNI PEAK		140		100		100		9		7		12.405		-4.688		-3.642		Yes		9/11/25 13:49		RTK		32		1.11		0.52		0.98		9507		-1339		Yes		RTK		3D		0.8		2024		0.85		0.512		0.512		1.985				WME		Water Meter

		UP5758		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5758		9/11/25 13:51		3728'52.6975"N		795'26.5281"W		121.426		1012805.888		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		100		100		6		8		10.92		-0.8		-2.483		Yes		9/11/25 13:51		RTK		32		1.03		0.49		0.9		9324		-1339		Yes		RTK		3D		0.4		2024		0.672		0.472		0.512		1.643				WME		Water Meter

		UP5759		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5759		9/11/25 13:52		3728'51.9010"N		795'25.8164"W		99.059		1012904.947		0		UNKNOWN		176		65536		CLASSIC		OMNI PEAK		140		29.909		100		-1		12		15.778		-1.818		-52.801		Yes		9/11/25 13:52		RTK		32		1.03		0.49		0.9		9393		-1339		Yes		RTK		3D		1		2024		0.85		0.551		0.551		2.027				WME		Water Meter

		UP5760		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5760		9/11/25 13:53		3728'51.3980"N		795'25.2563"W		68.103		1012973.05		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		9.066		100		0		10		9.741		-1.888		89.818		Yes		9/11/25 13:53		RTK		31		1.04		0.5		0.91		9418		-1339		Yes		RTK		3D		1.4		2024		1.388		0.551		0.63		2.988				WME		Water Meter

		UP5761		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5761		9/11/25 13:56		3728'50.2923"N		795'24.0017"W		150.946		1013123.996		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		97.212		100		16		11		10.043		-2.744		54.558		Yes		9/11/25 13:56		RTK		32		1.02		0.51		0.89		9353		-1339		Yes		RTK		3D		0.6		2024		0.472		0.386		0.394		1.22				WME		Water Meter

		UP5762		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5762		9/11/25 13:57		3728'49.5947"N		795'23.3256"W		89.277		1013213.273		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		48.828		100		1		12		9.831		-0.177		-11.356		Yes		9/11/25 13:57		RTK		32		1.09		0.53		0.95		9304		-1339		Yes		RTK		3D		0.6		2024		1.64		1.157		0.748		4.015				WME		Water Meter

		UP5763		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5763		9/11/25 13:59		3728'47.2370"N		795'22.1177"W		258.207		1013471.48		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		25.077		100		-6		10		13.683		-3.145		14.403		Yes		9/11/25 13:59		RTK		32		1		0.48		0.88		9156		-1339		Yes		RTK		3D		1		2050		0.551		0.433		0.394		1.402				WME		Water Meter

		UP5764		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5764		9/11/25 14:00		3728'46.7066"N		795'23.2212"W		103.866		1013575.346		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		18.44		100		-71		11		10.324		-4.584		77.181		Yes		9/11/25 14:00		RTK		31		0.96		0.49		0.83		9142		-1339		Yes		RTK		3D		0.6		2050		0.948		0.672		0.512		2.323				WME		Water Meter

		UP5765		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5765		9/11/25 14:01		3728'45.8553"N		795'24.3637"W		126.173		1013701.519		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		-1		12		7.197		-0.829		5.088		Yes		9/11/25 14:01		FLOAT RTK		31		1.05		0.54		0.91		9038		-1339		Yes		FLOAT RTK		3D		0.8		2050		13.62		11.595		2.441		35.775				WME		Water Meter

		UP5766		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5766		9/11/25 14:04		3728'46.5790"N		795'26.4735"W		185.045		1013886.564		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		-3		11		10.282		-1.547		55.131		Yes		9/11/25 14:04		RTK		31		1.08		0.54		0.94		9031		-1339		Yes		RTK		3D		0.6		2050		2.858		1.512		0.709		6.467				WME		Water Meter

		UP5767		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5767		9/11/25 14:05		3728'47.9183"N		795'27.8219"W		173.91		1014060.474		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		100		100		-3		9		17.662		-1.441		28.779		Yes		9/11/25 14:05		RTK		32		1.07		0.52		0.93		9079		-1339		Yes		RTK		3D		1		2050		1.05		0.591		0.551		2.409				WME		Water Meter

		UP5768		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5768		9/11/25 14:05		3728'47.9406"N		795'28.0369"W		17.457		1014077.931		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		1		10		15.866		1.259		14.494		Yes		9/11/25 14:06		RTK		32		1.04		0.51		0.91		9049		-1339		Yes		RTK		3D		1.4		2050		0.433		0.339		0.394		1.099				WME		Water Meter

		UP5769		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5769		9/11/25 14:08		3728'48.9082"N		795'28.7349"W		113.108		1014191.039		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		57.546		100		-1		7		19.583		-2.021		10.442		Yes		9/11/25 14:08		RTK		32		1.03		0.51		0.9		9111		-1339		Yes		RTK		3D		1		2050		1.05		0.551		0.551		2.372				WME		Water Meter

		UP5770		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5770		9/11/25 14:09		3728'50.0141"N		795'30.1378"W		159.194		1014350.233		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		-2		10		13.006		-2.541		-22.471		Yes		9/11/25 14:09		RTK		31		1.15		0.56		1.01		9083		-1339		Yes		RTK		3D		0.6		2050		2.688		1.512		0.945		6.167				WME		Water Meter

		UP5771		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5771		9/11/25 14:10		3728'49.7029"N		795'30.6114"W		49.497		1014399.73		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		26.92		100		-5		11		9.518		0.94		1.086		Yes		9/11/25 14:10		RTK		32		1.05		0.53		0.91		9050		-1339		Yes		RTK		3D		1.2		2050		0.672		0.551		0.433		1.738				WME		Water Meter

		UP5772		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5772		9/11/25 14:12		3728'48.5939"N		795'29.4521"W		146.187		1014545.916		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		11.225		100		0		9		18.695		-1.41		5.944		Yes		9/11/25 14:12		RTK		31		1.1		0.56		0.95		9041		-1339		Yes		RTK		3D		1.4		2050		0.672		0.591		0.512		1.789				WME		Water Meter

		UP5773		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5773		9/11/25 14:13		3728'47.4612"N		795'28.4846"W		138.817		1014684.733		0		UNKNOWN		230		65536		CLASSIC		OMNI PEAK		140		100		100		1		7		9.628		-0.352		-30.19		Yes		9/11/25 14:13		RTK		32		0.99		0.5		0.86		9007		-1339		Yes		RTK		3D		1.2		2050		1.05		0.759		0.551		2.59				WME		Water Meter

		UP5774		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5774		9/11/25 14:14		3728'47.2202"N		795'28.0616"W		41.925		1014726.658		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		100		100		3		10		16.17		-1.095		-20.49		Yes		9/11/25 14:14		RTK		32		1		0.5		0.86		9017		-1339		Yes		RTK		3D		0.8		2050		0.512		0.433		0.394		1.341				WME		Water Meter

		UP5775		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5775		9/11/25 14:15		3728'46.1982"N		795'27.1017"W		129.313		1014855.971		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		37.74		100		-1		11		11.144		0.255		-8.075		Yes		9/11/25 14:15		RTK		31		1.02		0.51		0.88		8980		-1339		Yes		RTK		3D		1.4		2050		1.05		0.551		0.512		2.372				WME		Water Meter

		UP5776		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5776		9/11/25 14:15		3728'45.3798"N		795'26.2298"W		108.726		1014964.697		0		UNKNOWN		10		65536		CLASSIC		OMNI PEAK		140		100		100		5		10		10.558		-3.615		33.061		Yes		9/11/25 14:15		RTK		32		1.02		0.52		0.87		8961		-1339		Yes		RTK		3D		1.4		2050		0.85		0.591		0.472		2.071				WME		Water Meter

		UP5777		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5777		9/11/25 14:17		3728'44.0253"N		795'24.9453"W		171.975		1015136.672		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		-7		11		11.421		-4.43		7.937		Yes		9/11/25 14:17		RTK		32		0.97		0.49		0.83		8915		-1339		Yes		RTK		3D		1.4		2050		1.27		0.672		0.551		2.874				WME		Water Meter

		UP5778		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5778		9/11/25 14:20		3728'42.3730"N		795'23.4631"W		205.764		1015342.436		0		UNKNOWN		65		65536		CLASSIC		OMNI PEAK		140		51.978		100		-14		6		8.205		-2.046		-1.459		Yes		9/11/25 14:20		RTK		32		1.04		0.52		0.9		8851		-1339		Yes		RTK		3D		1		2050		0.948		0.672		0.512		2.323				WME		Water Meter

		UP5779		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5779		9/11/25 14:23		3728'37.4508"N		795'26.5917"W		559.292		1015901.728		0		UNKNOWN		112		65536		CLASSIC		OMNI PEAK		140		38.328		100		9		9		16.837		-2.218		-18.978		Yes		9/11/25 14:24		FLOAT RTK		32		1.06		0.56		0.9		8717		-1339		Yes		FLOAT RTK		3D		1.2		2050		22.087		17.485		3.386		56.34				WME		Water Meter

		UP5780		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5780		9/11/25 14:24		3728'35.9867"N		795'26.8915"W		150.482		1016052.21		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		100		100		7		7		23.319		-1.35		-48.448		Yes		9/11/25 14:24		RTK		32		1		0.5		0.86		8914		-1339		Yes		RTK		3D		1.2		2050		0.512		0.472		0.394		1.393				WME		Water Meter

		UP5781		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5781		9/11/25 14:27		3728'33.0966"N		795'29.6286"W		366.783		1016418.992		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		61.96		100		4		11		9.569		-1.775		-29.041		Yes		9/11/25 14:27		RTK		29		1.01		0.53		0.86		9417		-1339		Yes		RTK		3D		1.2		2050		1.64		1.157		0.669		4.015				WME		Water Meter

		UP5782		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5782		9/11/25 14:28		3728'33.7400"N		795'30.7071"W		108.628		1016527.621		0		UNKNOWN		261		65536		CLASSIC		OMNI PEAK		140		15.125		100		0		11		11.045		0.243		42.831		Yes		9/11/25 14:28		RTK		31		1		0.52		0.86		9538		-1339		Yes		RTK		3D		1		2050		0.948		0.591		0.512		2.233				WME		Water Meter

		UP5783		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5783		9/11/25 14:29		3728'34.1618"N		795'31.5345"W		79.176		1016606.797		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		-5		10		14.563		4.579		-47.148		Yes		9/11/25 14:29		RTK		31		0.99		0.5		0.85		9580		-1339		Yes		RTK		3D		0.6		2050		2.058		0.948		0.748		4.531				WME		Water Meter

		UP5784		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5784		9/11/25 14:30		3728'34.8740"N		795'32.5258"W		107.659		1016714.456		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		25.347		100		1		13		13.634		0.308		41.303		Yes		9/11/25 14:30		FLOAT RTK		32		1.01		0.52		0.87		9584		-1339		Yes		FLOAT RTK		3D		1.6		2050		20.246		18.406		2.953		54.724				WME		Water Meter

		UP5785		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5785		9/11/25 14:31		3728'35.6142"N		795'33.7750"W		125.514		1016839.97		0		UNKNOWN		43		65536		CLASSIC		OMNI PEAK		140		95.962		100		0		13		13.085		3.972		-25.019		Yes		9/11/25 14:31		RTK		32		1		0.52		0.86		9671		-1339		Yes		RTK		3D		1		2050		0.759		0.591		0.472		1.923				WME		Water Meter

		UP5786		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5786		9/11/25 14:34		3728'37.6545"N		795'35.7129"W		259.21		1017099.181		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		100		100		1		10		8.703		-0.755		56.489		Yes		9/11/25 14:34		RTK		30		1.03		0.53		0.88		9681		-1339		Yes		RTK		3D		1.2		2050		0.394		0.319		0.394		1.013				WME		Water Meter

		UP5787		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5787		9/11/25 14:37		3728'38.6178"N		795'34.4922"W		138.603		1017237.784		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		3		13		13.369		3.337		34.117		Yes		9/11/25 14:37		RTK		31		1.01		0.53		0.87		9561		-1339		Yes		RTK		3D		0.8		2050		0.472		0.378		0.394		1.21				WME		Water Meter

		UP5788		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5788		9/11/25 14:39		3728'39.3714"N		795'33.4307"W		114.663		1017352.447		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		56.888		99		-7		6		8.226		-0.697		-56.67		Yes		9/11/25 14:39		RTK		32		1.01		0.53		0.86		9435		-1339		Yes		RTK		3D		1.4		2050		0.591		0.433		0.394		1.465				WME		Water Meter

		UP5789		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5789		9/11/25 14:40		3728'39.5343"N		795'33.0879"W		32.166		1017384.613		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		96.43		99		-3		12		14.003		0.384		-73.099		Yes		9/11/25 14:40		RTK		32		1		0.53		0.85		9384		-1339		Yes		RTK		3D		0.8		2050		0.672		0.551		0.472		1.738				WME		Water Meter

		UP5790		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5790		9/11/25 14:41		3728'40.4162"N		795'33.3866"W		92.646		1017477.258		0		UNKNOWN		25		65536		CLASSIC		OMNI PEAK		140		100		99		-2		9		9.507		-1.8		-64.284		Yes		9/11/25 14:41		RTK		32		1		0.53		0.85		9343		-1339		Yes		RTK		3D		0.6		2050		0.759		0.512		0.472		1.83				WME		Water Meter

		UP5791		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5791		9/11/25 14:42		3728'39.8651"N		795'33.9369"W		71.338		1017548.596		0		UNKNOWN		32		65536		CLASSIC		OMNI PEAK		140		100		99		1		10		9.272		1.331		18.576		Yes		9/11/25 14:42		RTK		32		1.01		0.55		0.85		9452		-1339		Yes		RTK		3D		0.8		2050		1.157		0.85		0.591		2.873				WME		Water Meter

		UP5792		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5792		9/11/25 14:43		3728'38.6120"N		795'35.5414"W		181.238		1017729.835		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		100		98		0		11		13.409		-1.943		0.737		Yes		9/11/25 14:43		RTK		32		1		0.54		0.84		9614		-1339		Yes		RTK		3D		1.2		2050		0.948		0.672		0.591		2.323				WME		Water Meter

		UP5793		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5793		9/11/25 14:45		3728'37.2730"N		795'37.3735"W		200.53		1017930.364		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		99		7		9		10.556		0.706		-6.249		Yes		9/11/25 14:45		RTK		32		1.02		0.56		0.86		9754		-1339		Yes		RTK		3D		1.2		2050		2.058		0.759		0.591		4.386				WME		Water Meter

		UP5794		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5794		9/11/25 14:46		3728'37.9829"N		795'36.4448"W		103.817		1018034.181		0		UNKNOWN		461		65536		CLASSIC		OMNI PEAK		140		99.799		99		1		11		11.194		1.816		-5.217		Yes		9/11/25 14:46		RTK		32		1.01		0.54		0.86		9679		-1339		Yes		RTK		3D		1		2050		0.551		0.472		0.394		1.452				WME		Water Meter

		UP5795		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5795		9/11/25 14:47		3728'36.3984"N		795'38.4540"W		228.046		1018262.227		0		UNKNOWN		22		65536		CLASSIC		OMNI PEAK		140		100		98		-2		4		14.877		2.194		57.114		Yes		9/11/25 14:47		RTK		32		1.01		0.54		0.85		9826		-1339		Yes		RTK		3D		1.2		2050		0.948		0.551		0.472		2.192				WME		Water Meter

		UP5796		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5796		9/11/25 14:48		3728'35.8965"N		795'39.0821"W		71.772		1018333.999		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		95.606		98		6		12		12.22		0.855		49.124		Yes		9/11/25 14:48		RTK		32		0.93		0.5		0.79		9868		-1339		Yes		RTK		3D		18.8		2050		2.362		1.64		0.787		5.752				WME		Water Meter

		UP5797		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5797		9/11/25 14:50		3728'35.2737"N		795'39.9225"W		92.57		1018426.569		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		100		98		0		11		11.588		-1.92		57.903		Yes		9/11/25 14:50		RTK		31		0.95		0.51		0.8		9931		-1339		Yes		RTK		3D		2		2085		0.672		0.472		0.394		1.643				WME		Water Meter

		UP5798		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5798		9/11/25 14:51		3728'34.5295"N		795'40.8611"W		106.816		1018533.385		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		25.93		98		1		8		11.861		2.444		16.75		Yes		9/11/25 14:51		RTK		31		0.92		0.5		0.78		9991		-1339		Yes		RTK		3D		1.8		2085		0.512		0.366		0.394		1.259				WME		Water Meter

		UP5799		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5799		9/12/25 7:17		3727'37.2587"N		795'11.2265"W		0		1018533.385		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		7.635		100		-24		7		10.988		-1.082		70.573		Yes		9/12/25 7:17		RTK		19		1.95		1.05		1.65		9891		-1340		Yes		RTK		3D		2.4		2409		4.412		1.388		0.906		9.251				WME		Water Meter

		UP5800		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5800		9/12/25 7:20		3727'35.3021"N		795'9.8261"W		228.292		1018761.676		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		2.696		100		-17		11		11.573		-1.545		-31.128		Yes		9/12/25 7:20		RTK		32		1.07		0.57		0.91		9794		-1340		Yes		RTK		3D		1.2		2409		1.27		0.85		0.669		3.057				WME		Water Meter

		UP5801		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5801		9/12/25 7:20		3727'35.2559"N		795'9.8007"W		5.113		1018766.79		0		UNKNOWN		36		65536		CLASSIC		OMNI PEAK		140		16.291		100		0		8		11.869		3.67		-64.545		Yes		9/12/25 7:20		RTK		32		1.07		0.57		0.91		9796		-1340		Yes		RTK		3D		1		2409		0.591		0.472		0.472		1.513				WME		Water Meter

		UP5802		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5802		9/12/25 7:21		3727'34.9534"N		795'9.7577"W		30.889		1018797.679		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.993		100		-2		10		10.355		1.564		33.91		Yes		9/12/25 7:21		RTK		32		1.12		0.58		0.97		9816		-1340		Yes		RTK		3D		1.2		2409		0.948		0.512		0.551		2.154				WME		Water Meter

		UP5803		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5803		9/12/25 7:22		3727'34.1166"N		795'9.2287"W		94.978		1018892.657		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.024		100		-5		13		17.006		-4.45		25.332		Yes		9/12/25 7:22		RTK		29		1.07		0.57		0.9		9877		-1340		Yes		RTK		3D		1		2409		1.27		0.672		0.669		2.874				WME		Water Meter

		UP5804		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5804		9/12/25 7:28		3727'30.0100"N		795'7.1565"W		448.799		1019341.456		0		UNKNOWN		847		65536		CLASSIC		OMNI PEAK		140		7.302		100		-26		5		10.732		2.158		-88.527		Yes		9/12/25 7:28		RTK		32		1.09		0.56		0.94		9931		-1340		Yes		RTK		3D		1		2409		0.551		0.433		0.433		1.402				WME		Water Meter

		UP5805		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5805		9/12/25 7:30		3727'28.2594"N		795'6.9073"W		178.728		1019520.185		0		UNKNOWN		66		65536		CLASSIC		OMNI PEAK		140		12.468		100		0		12		11.464		0.236		-12.931		Yes		9/12/25 7:30		RTK		31		1.09		0.56		0.93		10017		-1340		Yes		RTK		3D		0.8		2409		0.672		0.512		0.472		1.689				WME		Water Meter

		UP5806		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5806		9/12/25 7:36		3727'27.0145"N		795'6.9024"W		126.292		1019646.477		0		UNKNOWN		62		65536		CLASSIC		OMNI PEAK		140		11.008		100		22		6		12.324		-1.545		-84.054		Yes		9/12/25 7:36		RTK		32		1.16		0.58		1		9972		-1340		Yes		RTK		3D		1.2		2409		1.512		1.157		0.827		3.808				WME		Water Meter

		UP5807		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5807		9/12/25 7:36		3727'26.9670"N		795'6.9040"W		4.823		1019651.3		0		UNKNOWN		4217		65536		CLASSIC		OMNI PEAK		140		13.597		100		2		10		11.661		0.798		-4.108		Yes		9/12/25 7:36		RTK		31		1.15		0.58		1		9978		-1340		Yes		RTK		3D		1.2		2409		1.388		1.05		0.827		3.481				WME		Water Meter

		UP5808		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5808		9/12/25 7:41		3727'25.9172"N		795'6.8958"W		106.499		1019757.799		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.947		100		-12		9		11.737		0.046		18.672		Yes		9/12/25 7:41		RTK		31		1.16		0.59		1		10060		-1340		Yes		RTK		3D		0.6		2409		2.207		1.913		1.063		5.842				WME		Water Meter

		UP5809		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5809		9/12/25 7:43		3727'23.3396"N		795'7.0313"W		261.728		1020019.527		0		UNKNOWN		21		65536		CLASSIC		OMNI PEAK		140		32.522		100		2		8		11.794		1.685		35.152		Yes		9/12/25 7:43		RTK		31		1.13		0.58		0.97		10129		-1340		Yes		RTK		3D		1.4		2409		1.05		0.759		0.63		2.59				WME		Water Meter

		UP5810		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5810		9/12/25 7:44		3727'22.3662"N		795'7.1660"W		99.352		1020118.88		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		140		34.049		100		-5		11		10.812		-0.52		40.721		Yes		9/12/25 7:44		RTK		32		1.11		0.58		0.95		10153		-1340		Yes		RTK		3D		0.6		2409		2.207		1.64		1.102		5.5				WME		Water Meter

		UP5811		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5811		9/12/25 7:45		3727'22.3466"N		795'7.1694"W		2.008		1020120.888		0		UNKNOWN		106		65536		CLASSIC		OMNI PEAK		140		14.321		100		-1		11		14.103		-0.721		24.281		Yes		9/12/25 7:45		RTK		32		1.15		0.59		0.98		10156		-1340		Yes		RTK		3D		2		2409		0.759		0.672		0.669		2.027				WME		Water Meter

		UP5812		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5812		9/12/25 7:45		3727'21.9379"N		795'7.1298"W		41.581		1020162.469		0		UNKNOWN		78		65536		CLASSIC		OMNI PEAK		140		25.138		100		-42		7		12.801		0.468		-42.08		Yes		9/12/25 7:45		RTK		32		1.09		0.57		0.93		10159		-1340		Yes		RTK		3D		0.8		2409		0.512		0.472		0.433		1.393				WME		Water Meter

		UP5813		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5813		9/12/25 7:47		3727'20.2146"N		795'6.8775"W		176.005		1020338.474		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		55.613		100		-13		13		13.59		2.182		-18.714		Yes		9/12/25 7:47		RTK		32		1.09		0.57		0.92		10215		-1340		Yes		RTK		3D		0.8		2409		1.27		0.472		0.512		2.711				WME		Water Meter

		UP5814		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5814		9/12/25 7:53		3727'18.2458"N		795'6.5518"W		201.449		1020539.924		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		9.96		100		1		10		9.13		0.058		-62.419		Yes		9/12/25 7:53		RTK		32		1.11		0.59		0.94		10247		-1340		Yes		RTK		3D		0.8		2409		0.591		0.472		0.472		1.513				WME		Water Meter

		UP5815		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5815		9/12/25 7:59		3727'17.9726"N		795'6.5496"W		27.714		1020567.638		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		-4		5		11.621		-0.33		81.46		Yes		9/12/25 7:59		RTK		32		1.14		0.61		0.97		10261		-1340		Yes		RTK		3D		0.6		2409		0.85		0.591		0.551		2.071				WME		Water Meter

		UP5816		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5816		9/12/25 8:00		3727'17.8186"N		795'6.5499"W		15.627		1020583.264		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		6.983		100		39		9		4.248		5.603		-37.855		Yes		9/12/25 8:00		RTK		32		1.03		0.56		0.87		10268		-1340		Yes		RTK		3D		0.4		2409		1.05		0.759		0.63		2.59				WME		Water Meter

		UP5817		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5817		9/12/25 8:01		3727'16.9572"N		795'6.4585"W		87.699		1020670.963		0		UNKNOWN		158		65536		CLASSIC		OMNI PEAK		140		9.085		100		29		11		7.551		0.981		-82.649		Yes		9/12/25 8:01		RTK		31		1		0.54		0.84		10326		-1340		Yes		RTK		3D		0.8		2409		0.948		0.512		0.551		2.154				WME		Water Meter

		UP5818		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5818		9/12/25 8:02		3727'16.4789"N		795'6.4365"W		48.553		1020719.516		0		UNKNOWN		54		65536		CLASSIC		OMNI PEAK		140		10.647		100		-10		6		9.148		-0.468		-63.3		Yes		9/12/25 8:02		FLOAT RTK		31		1.11		0.59		0.95		10355		-1340		Yes		FLOAT RTK		3D		0.4		2409		3.681		3.129		0.63		9.662				WME		Water Meter

		UP5819		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5819		9/12/25 8:02		3727'16.3000"N		795'6.4062"W		18.318		1020737.834		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		-2		10		9.528		1.294		-86.381		Yes		9/12/25 8:02		RTK		32		1.08		0.58		0.91		10366		-1340		Yes		RTK		3D		0.6		2409		0.551		0.433		0.591		1.402				WME		Water Meter

		UP5820		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5820		9/12/25 8:03		3727'15.1404"N		795'6.4772"W		117.776		1020855.61		0		UNKNOWN		19		65536		CLASSIC		OMNI PEAK		140		100		100		3		8		11.039		0.572		-76.75		Yes		9/12/25 8:03		RTK		32		1.08		0.58		0.91		10429		-1340		Yes		RTK		3D		0.6		2409		0.551		0.512		0.512		1.504				WME		Water Meter

		UP5821		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5821		9/12/25 8:10		3727'9.9490"N		795'6.5509"W		526.703		1021382.313		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		25.376		100		3		11		10.381		-1.597		18.813		Yes		9/12/25 8:10		RTK		32		0.97		0.53		0.81		10283		-1340		Yes		RTK		3D		0.6		2409		1.27		0.759		0.63		2.959				WME		Water Meter

		UP5822		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5822		9/12/25 8:11		3727'8.7825"N		795'6.6972"W		118.933		1021501.245		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		5.092		100		0		9		12.722		1.404		-45.445		Yes		9/12/25 8:11		RTK		32		0.95		0.52		0.79		10245		-1340		Yes		RTK		3D		1		2409		0.551		0.512		0.433		1.504				WME		Water Meter

		UP5823		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5823		9/12/25 8:12		3727'7.5268"N		795'6.8526"W		128.004		1021629.25		0		UNKNOWN		61		65536		CLASSIC		OMNI PEAK		140		19.244		100		-1		11		4.382		4.334		-82.786		Yes		9/12/25 8:12		RTK		32		1.03		0.56		0.87		10183		-1340		Yes		RTK		3D		0.4		2409		0.759		0.591		0.551		1.923				WME		Water Meter

		UP5824		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5824		9/12/25 8:13		3727'6.6625"N		795'7.2122"W		92.335		1021721.585		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		11.587		100		1		11		6.85		-0.818		51.749		Yes		9/12/25 8:13		RTK		32		0.97		0.53		0.81		10180		-1340		Yes		RTK		3D		0.8		2409		0.512		0.394		0.394		1.291				WME		Water Meter

		UP5825		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5825		9/12/25 8:17		3727'4.3558"N		795'8.2326"W		248.028		1021969.612		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.055		100		3		9		13.158		-0.719		46.162		Yes		9/12/25 8:17		RTK		32		0.96		0.53		0.81		10170		-1340		Yes		RTK		3D		1		2409		0.759		0.551		0.512		1.875				WME		Water Meter

		UP5826		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5826		9/12/25 8:18		3727'3.3354"N		795'9.0053"W		120.792		1022090.404		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0		100		-28		9		12		-1.779		17.002		Yes		9/12/25 8:18		RTK		31		0.96		0.53		0.8		10261		-1340		Yes		RTK		3D		1.4		2409		0.948		0.672		0.591		2.323				WME		Water Meter

		UP5827		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5827		9/12/25 8:21		3727'2.2142"N		795'9.7767"W		129.608		1022220.012		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		100		100		0		9		8.682		-2.166		85.874		Yes		9/12/25 8:21		RTK		32		0.96		0.53		0.8		10323		-1340		Yes		RTK		3D		0.6		2409		1.05		0.948		0.63		2.828				WME		Water Meter

		UP5828		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5828		9/12/25 8:22		3727'0.9100"N		795'10.9114"W		160.807		1022380.819		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		59.627		100		-10		11		10.456		-0.288		-77.69		Yes		9/12/25 8:22		RTK		32		0.95		0.53		0.79		10278		-1340		Yes		RTK		3D		1		2409		0.948		0.948		0.591		2.68				WME		Water Meter

		UP5829		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5829		9/12/25 8:28		3726'59.9732"N		795'11.5181"W		106.865		1022487.684		0		UNKNOWN		47		65536		CLASSIC		OMNI PEAK		140		23.844		100		13		6		11.776		1.74		47.853		Yes		9/12/25 8:28		RTK		31		1.02		0.55		0.85		10257		-1340		Yes		RTK		3D		1.4		2409		0.85		0.759		0.591		2.279				WME		Water Meter

		UP5830		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5830		9/12/25 8:30		3726'59.4767"N		795'10.8454"W		73.974		1022561.657		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		34.973		100		0		10		13.106		-2.13		23.473		Yes		9/12/25 8:30		RTK		31		1.01		0.55		0.85		10176		-1340		Yes		RTK		3D		0.6		2409		0.512		0.472		0.433		1.393				WME		Water Meter

		UP5831		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5831		9/12/25 8:31		3726'58.9962"N		795'11.0952"W		52.733		1022614.391		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		23.364		100		2		9		13.982		-2.48		15.983		Yes		9/12/25 8:31		RTK		32		1.01		0.55		0.84		10182		-1340		Yes		RTK		3D		1.2		2409		0.394		0.382		0.394		1.097				WME		Water Meter

		UP5832		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5832		9/12/25 8:33		3726'58.5909"N		795'12.1131"W		91.714		1022706.105		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		1		11		15.886		0.915		-89.121		Yes		9/12/25 8:33		RTK		31		0.96		0.53		0.8		10327		-1340		Yes		RTK		3D		1.4		2409		0.433		0.339		0.394		1.099				WME		Water Meter

		UP5833		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5833		9/12/25 8:34		3726'57.2602"N		795'12.5851"W		140.247		1022846.352		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		5.848		100		12		6		10.006		-2.131		-73.013		Yes		9/12/25 8:34		RTK		32		0.97		0.54		0.8		10391		-1340		Yes		RTK		3D		1.2		2409		0.948		0.672		0.512		2.323				WME		Water Meter

		UP5834		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5834		9/12/25 8:35		3726'56.4978"N		795'12.7885"W		79.066		1022925.417		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		39.571		100		3		11		10.918		1.844		-23.841		Yes		9/12/25 8:35		RTK		32		1.03		0.56		0.86		10412		-1340		Yes		RTK		3D		1.2		2409		0.551		0.472		0.394		1.452				WME		Water Meter

		UP5835		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5835		9/12/25 8:35		3726'56.1815"N		795'13.0254"W		37.328		1022962.746		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		11.422		100		2		9		8.198		0.545		-36.114		Yes		9/12/25 8:35		RTK		32		1.02		0.56		0.86		10391		-1340		Yes		RTK		3D		0.6		2409		0.512		0.433		0.394		1.341				WME		Water Meter

		UP5836		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5836		9/12/25 8:42		3726'55.5030"N		795'13.1239"W		69.289		1023032.035		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		3.177		100		2		7		9.874		2.232		-78.851		Yes		9/12/25 8:42		RTK		32		0.95		0.54		0.78		10424		-1340		Yes		RTK		3D		0.8		2409		0.472		0.394		0.394		1.23				WME		Water Meter

		UP5837		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5837		9/12/25 8:43		3726'54.2760"N		795'13.5148"W		128.401		1023160.436		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		42.791		100		3		8		12.222		-8.489		-73.796		Yes		9/12/25 8:43		RTK		32		1.04		0.56		0.87		10383		-1340		Yes		RTK		3D		0.8		2409		0.591		0.512		0.433		1.563				WME		Water Meter

		UP5838		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5838		9/12/25 8:45		3726'53.3345"N		795'13.7486"W		97.357		1023257.794		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.393		100		0		6		9.174		1.74		-23.357		Yes		9/12/25 8:45		RTK		31		1.03		0.56		0.87		10344		-1340		Yes		RTK		3D		1.2		2409		0.512		0.433		0.394		1.341				WME		Water Meter

		UP5839		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5839		9/12/25 8:49		3726'50.6769"N		795'14.3401"W		273.791		1023531.584		0		UNKNOWN		121		65536		CLASSIC		OMNI PEAK		140		4.738		100		0		13		13.855		-2.321		-79.149		Yes		9/12/25 8:49		RTK		31		1.04		0.58		0.86		10216		-1339		Yes		RTK		3D		0.8		2409		0.759		0.512		0.472		1.83				WME		Water Meter

		UP5840		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5840		9/12/25 8:51		3726'49.4339"N		795'14.6767"W		128.983		1023660.568		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		-9		8		13.15		-0.488		-38.694		Yes		9/12/25 8:51		RTK		32		1		0.56		0.84		10132		-1339		Yes		RTK		3D		0.8		2409		1.157		0.551		0.512		2.564				WME		Water Meter

		UP5841		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5841		9/12/25 8:52		3726'48.8897"N		795'14.8187"W		56.384		1023716.951		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		6.241		100		10		8		6.682		-1.233		82.434		Yes		9/12/25 8:52		RTK		31		1		0.56		0.83		10060		-1339		Yes		RTK		3D		1		2409		1.05		0.948		0.591		2.828				WME		Water Meter

		UP5842		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5842		9/12/25 9:07		3726'41.9200"N		795'17.3809"W		736.572		1024453.523		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		-1		12		16.82		-1.604		-81.86		Yes		9/12/25 9:07		RTK		32		0.92		0.53		0.75		10298		-1339		Yes		RTK		3D		1.2		2409		0.394		0.386		0.394		1.102				WME		Water Meter

		UP5843		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5843		9/12/25 9:08		3726'41.7053"N		795'17.5043"W		23.946		1024477.469		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		32.165		100		4		11		12.884		-2.891		71.154		Yes		9/12/25 9:08		RTK		32		0.93		0.54		0.76		10321		-1339		Yes		RTK		3D		1.2		2409		0.433		0.358		0.394		1.124				WME		Water Meter

		UP5844		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5844		9/12/25 9:10		3726'40.2374"N		795'18.1363"W		157.382		1024634.851		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		49.872		100		5		6		10.518		-3.41		72.582		Yes		9/12/25 9:10		RTK		32		0.91		0.53		0.75		10321		-1339		Yes		RTK		3D		0.4		2409		1.157		0.472		0.472		2.5				WME		Water Meter

		UP5845		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5845		9/12/25 9:11		3726'39.3232"N		795'18.6006"W		100.004		1024734.856		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		37.149		100		-2		11		13.16		-4.58		-85.071		Yes		9/12/25 9:11		RTK		32		0.93		0.54		0.75		10325		-1339		Yes		RTK		3D		1.4		2409		0.551		0.551		0.433		1.559				WME		Water Meter

		UP5846		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5846		9/12/25 9:13		3726'37.2476"N		795'19.4245"W		220.775		1024955.631		0		UNKNOWN		72		65536		CLASSIC		OMNI PEAK		140		15.711		100		3		8		14.873		-4.463		-69.549		Yes		9/12/25 9:14		RTK		31		1.01		0.57		0.84		10384		-1339		Yes		RTK		3D		1.2		2409		0.591		0.551		0.433		1.616				WME		Water Meter

		UP5847		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5847		9/12/25 9:14		3726'36.2345"N		795'19.8092"W		107.352		1025062.982		0		UNKNOWN		64		65536		CLASSIC		OMNI PEAK		140		32.351		100		32		3		16.99		-5.701		64.045		Yes		9/12/25 9:14		RTK		31		1.07		0.59		0.9		10405		-1339		Yes		RTK		3D		0.8		2409		0.85		0.551		0.551		2.027				WME		Water Meter

		UP5848		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5848		9/12/25 9:16		3726'35.3718"N		795'20.2024"W		93.075		1025156.058		0		UNKNOWN		151		65536		CLASSIC		OMNI PEAK		140		18.038		100		21		10		9.46		-3.052		-8.642		Yes		9/12/25 9:16		RTK		31		1.01		0.57		0.84		10444		-1339		Yes		RTK		3D		1.2		2409		1.27		0.948		0.591		3.17				WME		Water Meter

		UP5849		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5849		9/12/25 9:21		3726'39.6446"N		795'17.4713"W		486.104		1025642.161		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		10.208		100		-9		12		15.041		-1.808		-41.824		Yes		9/12/25 9:21		RTK		31		1.01		0.56		0.83		10282		-1339		Yes		RTK		3D		0.8		2409		1.05		0.759		0.591		2.59				WME		Water Meter

		UP5850		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5850		9/12/25 9:21		3726'39.9732"N		795'17.2685"W		37.129		1025679.29		0		UNKNOWN		35		65536		CLASSIC		OMNI PEAK		140		11.352		100		1		9		14.79		-0.099		5.592		Yes		9/12/25 9:21		RTK		31		1		0.56		0.83		10247		-1339		Yes		RTK		3D		0.8		2409		1.05		0.551		0.551		2.372				WME		Water Meter

		UP5851		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5851		9/12/25 9:22		3726'40.6734"N		795'16.8570"W		78.378		1025757.668		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		22.937		100		1		10		11.302		0.064		8.063		Yes		9/12/25 9:22		RTK		31		1.07		0.6		0.88		10219		-1339		Yes		RTK		3D		0.4		2409		1.512		0.672		0.551		3.309				WME		Water Meter

		UP5852		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5852		9/12/25 9:23		3726'42.5927"N		795'16.1740"W		202.34		1025960.008		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		22.66		100		-6		7		10.387		-3.347		57.213		Yes		9/12/25 9:23		RTK		31		1		0.56		0.83		10114		-1339		Yes		RTK		3D		0.6		2409		0.551		0.394		0.394		1.355				WME		Water Meter

		UP5853		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5853		9/12/25 9:24		3726'42.6764"N		795'16.1415"W		8.883		1025968.891		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		30.355		100		1		10		4.922		-0.606		-42.846		Yes		9/12/25 9:24		RTK		31		1		0.56		0.83		10113		-1339		Yes		RTK		3D		0.4		2409		0.85		0.591		0.551		2.071				WME		Water Meter

		UP5854		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5854		9/12/25 9:24		3726'44.3098"N		795'15.4376"W		175.142		1026144.033		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		-3		10		12.4		-2.341		-24.184		Yes		9/12/25 9:25		RTK		31		1.07		0.6		0.88		10067		-1339		Yes		RTK		3D		0.6		2409		1.64		1.05		0.709		3.895				WME		Water Meter

		UP5855		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5855		9/12/25 9:28		3726'48.8746"N		795'13.7687"W		482.214		1026626.247		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		12		10		11.116		-0.115		-75.088		Yes		9/12/25 9:28		RTK		30		1		0.57		0.83		10075		-1339		Yes		RTK		3D		0.6		2409		0.948		0.472		0.433		2.118				WME		Water Meter

		UP5856		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5856		9/12/25 9:29		3726'48.6993"N		795'13.7714"W		17.786		1026644.032		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		82.213		100		-1		9		11.047		1.782		87.349		Yes		9/12/25 9:29		RTK		29		1.07		0.6		0.88		10065		-1339		Yes		RTK		3D		1.2		2409		0.85		0.591		0.512		2.071				WME		Water Meter

		UP5857		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5857		9/12/25 9:30		3726'49.7833"N		795'13.5109"W		111.962		1026755.995		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		-1		3		10.411		1.548		87.635		Yes		9/12/25 9:30		RTK		29		1		0.57		0.83		10090		-1340		Yes		RTK		3D		0.6		2409		0.551		0.433		0.394		1.402				WME		Water Meter

		UP5858		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5858		9/12/25 9:31		3726'51.2340"N		795'13.1546"W		149.94		1026905.935		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		30.05		100		-1		9		7.289		0.513		-21.223		Yes		9/12/25 9:31		RTK		29		1.13		0.62		0.95		10162		-1340		Yes		RTK		3D		1.2		2409		1.157		0.591		0.591		2.599				WME		Water Meter

		UP5859		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5859		9/12/25 9:34		3726'55.1113"N		795'12.2944"W		399.413		1027305.348		0		UNKNOWN		83		65536		CLASSIC		OMNI PEAK		140		11.729		100		5		8		14.941		-1.623		-23.529		Yes		9/12/25 9:34		RTK		30		1.13		0.62		0.95		10342		-1340		Yes		RTK		3D		1.2		2409		0.591		0.512		0.472		1.563				WME		Water Meter

		UP5860		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5860		9/12/25 9:35		3726'55.4676"N		795'12.1558"W		37.834		1027343.182		0		UNKNOWN		302		65536		CLASSIC		OMNI PEAK		140		15.288		100		-1		9		9.692		-2.295		-48.88		Yes		9/12/25 9:35		RTK		31		1.07		0.6		0.88		10349		-1340		Yes		RTK		3D		0.8		2409		0.512		0.433		0.394		1.341				WME		Water Meter

		UP5861		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5861		9/12/25 9:35		3726'55.4829"N		795'12.1530"W		1.564		1027344.746		0		UNKNOWN		80		65536		CLASSIC		OMNI PEAK		140		9.844		100		8		9		14.061		-0.45		34.258		Yes		9/12/25 9:35		RTK		31		1.07		0.6		0.88		10347		-1340		Yes		RTK		3D		1.6		2409		0.85		0.591		0.551		2.071				WME		Water Meter

		UP5862		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5862		9/12/25 9:35		3726'55.4933"N		795'12.1499"W		1.084		1027345.829		0		UNKNOWN		10		65536		CLASSIC		OMNI PEAK		140		19.887		100		-4		11		13.213		-1.186		24.871		Yes		9/12/25 9:35		RTK		30		1.13		0.62		0.95		10348		-1340		Yes		RTK		3D		0.8		2409		0.672		0.472		0.472		1.643				WME		Water Meter

		UP5863		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5863		9/12/25 9:35		3726'55.5087"N		795'12.1459"W		1.593		1027347.422		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		1.166		100		31		4		12.557		-2.515		-80.285		Yes		9/12/25 9:35		RTK		31		1.13		0.62		0.95		10349		-1340		Yes		RTK		3D		1.4		2409		1.512		1.05		0.669		3.681				WME		Water Meter

		UP5864		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5864		9/12/25 9:35		3726'55.5259"N		795'12.1370"W		1.887		1027349.31		0		UNKNOWN		48		65536		CLASSIC		OMNI PEAK		140		12.668		100		-38		12		14.78		-1.283		85.147		Yes		9/12/25 9:35		RTK		31		1.07		0.6		0.88		10348		-1340		Yes		RTK		3D		1.4		2409		0.759		0.551		0.551		1.875				WME		Water Meter

		UP5865		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5865		9/12/25 9:38		3726'55.7282"N		795'12.0704"W		21.213		1027370.522		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		39.445		100		-2		11		14.327		-1.716		65.527		Yes		9/12/25 9:38		RTK		31		1.06		0.59		0.88		10354		-1340		Yes		RTK		3D		1.4		2409		1.913		1.388		0.866		4.728				WME		Water Meter

		UP5866		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5866		9/12/25 9:43		3727'0.6301"N		795'10.1947"W		519.742		1027890.264		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		25.457		100		8		9		14.563		0.465		-49.536		Yes		9/12/25 9:43		RTK		29		1.03		0.6		0.84		10277		-1340		Yes		RTK		3D		0.6		2409		1.512		0.948		0.748		3.568				WME		Water Meter

		UP5867		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5867		9/12/25 9:46		3727'1.8387"N		795'6.2923"W		337.37		1028227.634		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		3		9		6.334		-0.667		88.989		Yes		9/12/25 9:46		RTK		29		1.07		0.59		0.89		10224		-1340		Yes		RTK		3D		1.2		2409		0.759		0.512		0.472		1.83				WME		Water Meter

		UP5868		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5868		9/12/25 9:46		3727'2.0282"N		795'5.0337"W		103.176		1028330.81		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		32.253		100		-1		10		12.336		-2.826		-34.262		Yes		9/12/25 9:46		RTK		28		1.07		0.59		0.89		10220		-1340		Yes		RTK		3D		0.6		2409		1.157		0.591		0.551		2.599				WME		Water Meter

		UP5869		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5869		9/12/25 9:47		3727'2.1723"N		795'3.1655"W		151.166		1028481.976		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		100		100		4		8		11.811		-1.65		82.338		Yes		9/12/25 9:47		RTK		29		1.07		0.59		0.89		10203		-1340		Yes		RTK		3D		0.4		2409		0.591		0.374		0.394		1.398				WME		Water Meter

		UP5870		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5870		9/12/25 9:47		3727'2.1532"N		795'2.9952"W		13.855		1028495.831		0		UNKNOWN		84		65536		CLASSIC		OMNI PEAK		140		6.943		100		5		12		15.291		-0.56		-33.165		Yes		9/12/25 9:47		RTK		29		1.07		0.59		0.89		10206		-1340		Yes		RTK		3D		1.2		2409		0.512		0.433		0.394		1.341				WME		Water Meter

		UP5871		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5871		9/12/25 9:51		3727'2.6018"N		794'59.1757"W		310.965		1028806.796		0		UNKNOWN		15		65536		CLASSIC		OMNI PEAK		140		18.653		100		-151		11		13.332		-2.188		40.192		Yes		9/12/25 9:51		RTK		29		1.07		0.6		0.89		10034		-1340		Yes		RTK		3D		1		2409		2.207		1.27		0.748		5.094				WME		Water Meter

		UP5872		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5872		9/12/25 9:57		3727'1.9376"N		794'54.1586"W		409.656		1029216.451		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		-3		4		12.915		-0.63		-87.459		Yes		9/12/25 9:57		RTK		29		1.08		0.59		0.9		9996		-1340		Yes		RTK		3D		0.6		2409		0.948		0.591		0.512		2.233				WME		Water Meter

		UP5873		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5873		9/12/25 9:57		3727'0.7763"N		794'51.2858"W		259.641		1029476.092		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		-1		8		10.601		-2.435		-88.325		Yes		9/12/25 9:58		RTK		29		1.08		0.59		0.9		9869		-1340		Yes		RTK		3D		0.6		2409		0.551		0.472		0.433		1.452				WME		Water Meter

		UP5874		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5874		9/12/25 9:59		3727'0.3719"N		794'49.7053"W		133.742		1029609.834		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		-2		11		9.128		1.176		88.401		Yes		9/12/25 9:59		RTK		29		1.08		0.59		0.9		9796		-1340		Yes		RTK		3D		1.2		2409		0.551		0.551		0.433		1.559				WME		Water Meter

		UP5875		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5875		9/12/25 10:00		3727'0.0609"N		794'48.5981"W		94.588		1029704.422		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		-2		4		8.819		-3.38		89.357		Yes		9/12/25 10:00		RTK		29		1.08		0.59		0.9		9746		-1340		Yes		RTK		3D		0.8		2409		0.551		0.512		0.433		1.504				WME		Water Meter

		UP5876		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5876		9/12/25 10:00		3727'0.0829"N		794'48.6819"W		7.106		1029711.528		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		59.053		100		1		9		14.682		-4.244		77.943		Yes		9/12/25 10:00		RTK		29		1.08		0.59		0.9		9748		-1340		Yes		RTK		3D		1.2		2409		0.759		0.472		0.433		1.787				WME		Water Meter

		UP5877		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5877		9/12/25 10:10		3726'59.6543"N		794'45.8291"W		233.84		1029945.369		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		2		8		9.11		6.242		89.859		Yes		9/12/25 10:10		RTK		30		1.09		0.6		0.91		9726		-1340		Yes		RTK		3D		0.8		2409		1.05		0.591		0.551		2.409				WME		Water Meter

		UP5878		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5878		9/12/25 10:11		3726'59.1661"N		794'43.2110"W		216.602		1030161.97		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		32.988		100		-3		8		10.241		0.967		30.917		Yes		9/12/25 10:11		RTK		29		1.07		0.6		0.89		9618		-1340		Yes		RTK		3D		1		2409		0.672		0.672		0.472		1.9				WME		Water Meter

		UP5879		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5879		9/12/25 10:14		3726'58.8829"N		794'41.7102"W		124.246		1030286.217		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		-3		7		12.966		1.563		-83.715		Yes		9/12/25 10:14		RTK		29		1.1		0.6		0.92		9533		-1340		Yes		RTK		3D		0.6		2409		1.64		0.948		0.669		3.789				WME		Water Meter

		UP5880		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5880		9/12/25 10:15		3726'58.4910"N		794'40.3736"W		114.752		1030400.969		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		100		100		0		6		13.833		-1.192		-72.688		Yes		9/12/25 10:15		RTK		28		1.1		0.6		0.93		9486		-1340		Yes		RTK		3D		0.4		2409		1.27		0.948		0.709		3.17				WME		Water Meter

		UP5881		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5881		9/12/25 10:18		3726'59.2909"N		794'41.2380"W		106.924		1030507.893		0		UNKNOWN		42		65536		CLASSIC		OMNI PEAK		140		81.877		100		-3		8		14.493		3.038		-80.957		Yes		9/12/25 10:18		RTK		29		1.1		0.6		0.93		9522		-1340		Yes		RTK		3D		1		2409		1.512		0.759		0.591		3.383				WME		Water Meter

		UP5882		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5882		9/12/25 10:22		3727'0.3156"N		794'46.2643"W		417.946		1030925.839		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		54.921		100		-30		7		12.386		0.855		5.43		Yes		9/12/25 10:22		RTK		29		1.11		0.6		0.93		9762		-1340		Yes		RTK		3D		0.6		2409		1.05		0.948		0.63		2.828				WME		Water Meter

		UP5883		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5883		9/12/25 10:24		3727'0.5604"N		794'48.2051"W		158.275		1031084.114		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		100		100		0		11		12.713		1.435		-22.767		Yes		9/12/25 10:24		RTK		29		1.11		0.6		0.93		9766		-1340		Yes		RTK		3D		0.4		2409		1.913		0.948		0.63		4.27				WME		Water Meter

		UP5884		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5884		9/12/25 10:26		3727'0.8412"N		794'49.3367"W		95.483		1031179.597		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		100		100		-2		12		10.525		-0.465		84.693		Yes		9/12/25 10:26		RTK		30		1.1		0.6		0.93		9793		-1340		Yes		RTK		3D		1.2		2409		0.672		0.591		0.472		1.789				WME		Water Meter

		UP5885		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5885		9/12/25 10:27		3727'1.1206"N		794'50.6726"W		111.27		1031290.867		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		100		100		-2		7		10.65		-1.65		-13.635		Yes		9/12/25 10:27		RTK		30		1.1		0.6		0.93		9866		-1340		Yes		RTK		3D		1		2409		0.85		0.512		0.472		1.985				WME		Water Meter

		UP5886		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5886		9/12/25 10:29		3727'1.6501"N		794'51.9563"W		116.509		1031407.377		0		UNKNOWN		32		65536		CLASSIC		OMNI PEAK		140		100		100		-1		11		9.962		-1.581		8.589		Yes		9/12/25 10:29		RTK		30		1.1		0.6		0.92		9915		-1340		Yes		RTK		3D		0.8		2409		1.27		0.759		0.551		2.959				WME		Water Meter

		UP5887		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5887		9/12/25 10:31		3727'2.6381"N		794'54.1560"W		203.549		1031610.926		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		1		8		10.724		-2.648		72.103		Yes		9/12/25 10:31		RTK		31		1.1		0.6		0.92		9993		-1340		Yes		RTK		3D		0.8		2409		0.759		0.512		0.394		1.83				WME		Water Meter

		UP5888		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5888		9/12/25 10:33		3727'3.2957"N		794'58.1237"W		326.446		1031937.372		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		15.271		100		68		11		15.706		-0.458		76.372		Yes		9/12/25 10:33		RTK		31		1.1		0.6		0.92		10098		-1340		Yes		RTK		3D		1.4		2409		0.759		0.551		0.472		1.875				WME		Water Meter

		UP5889		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5889		9/12/25 10:35		3727'3.1459"N		795'0.6565"W		204.549		1032141.922		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		140		100		100		0		12		9.192		-4.552		26.595		Yes		9/12/25 10:35		RTK		31		1.01		0.58		0.83		10096		-1340		Yes		RTK		3D		0.6		2409		1.913		1.157		0.669		4.472				WME		Water Meter

		UP5890		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5890		9/12/25 10:37		3727'2.9862"N		795'2.2463"W		129.061		1032270.983		0		UNKNOWN		36		65536		CLASSIC		OMNI PEAK		140		88.655		100		1		13		11.087		-1.871		-37.865		Yes		9/12/25 10:37		RTK		30		1.01		0.58		0.82		10218		-1340		Yes		RTK		3D		0.6		2409		1.774		1.388		0.748		4.506				WME		Water Meter

		UP5891		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5891		9/12/25 10:39		3727'2.6473"N		795'4.1442"W		156.677		1032427.66		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		24.487		100		6		8		12.956		-1		19.205		Yes		9/12/25 10:39		RTK		32		1.01		0.58		0.82		10256		-1340		Yes		RTK		3D		0.8		2409		1.05		0.85		0.551		2.702				WME		Water Meter

		UP5892		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5892		9/12/25 10:41		3727'3.2801"N		795'7.8800"W		307.649		1032735.309		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		3		12		11.849		-1.426		-84.836		Yes		9/12/25 10:41		RTK		32		1.01		0.59		0.82		10279		-1340		Yes		RTK		3D		0.6		2409		0.591		0.551		0.433		1.616				WME		Water Meter

		UP5893		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5893		9/12/25 10:43		3727'3.2812"N		795'7.8813"W		0.157		1032735.466		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		22.852		100		4		6		8.177		-1.288		21.587		Yes		9/12/25 10:43		RTK		30		1		0.58		0.81		10280		-1340		Yes		RTK		3D		1		2409		1.05		0.591		0.512		2.409				WME		Water Meter

		UP5894		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5894		9/12/25 10:44		3727'4.9464"N		795'6.8350"W		188.79		1032924.256		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		19.394		100		8		10		15.386		-3.761		20.284		Yes		9/12/25 10:44		RTK		31		1		0.58		0.81		10238		-1340		Yes		RTK		3D		1.2		2409		0.948		0.672		0.512		2.323				WME		Water Meter

		UP5895		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5895		9/12/25 10:49		3727'10.4392"N		795'5.6826"W		564.92		1033489.176		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		-1		10		12.275		-1.879		10.311		Yes		9/12/25 10:49		RTK		30		1.05		0.6		0.86		10373		-1340		Yes		RTK		3D		1		2409		0.85		0.759		0.512		2.279				WME		Water Meter

		UP5896		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5896		9/12/25 10:51		3727'11.4610"N		795'5.7413"W		103.77		1033592.946		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		6.846		100		8		10		12.061		0.415		34.143		Yes		9/12/25 10:51		RTK		31		1.07		0.62		0.87		10360		-1340		Yes		RTK		3D		0.6		2409		1.157		0.948		0.591		2.992				WME		Water Meter

		UP5897		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5897		9/12/25 10:53		3727'14.0037"N		795'0.3499"W		505.049		1034097.995		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		1		13		5.361		-0.614		75.731		Yes		9/12/25 10:53		RTK		31		1.04		0.6		0.86		10391		-1340		Yes		RTK		3D		1.2		2409		5.315		2.207		1.102		11.51				WME		Water Meter

		UP5898		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5898		9/12/25 10:55		3727'14.8825"N		794'56.9575"W		287.384		1034385.379		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		100		-1		12		16.865		-2.207		15.234		Yes		9/12/25 10:55		RTK		31		1.04		0.6		0.85		10137		-1340		Yes		RTK		3D		0.4		2409		1.05		0.759		0.591		2.59				WME		Water Meter

		UP5899		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5899		9/12/25 10:57		3727'15.2520"N		794'52.9414"W		325.61		1034710.989		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		62.311		100		14		11		11.864		-0.247		28.329		Yes		9/12/25 10:57		RTK		32		1.06		0.62		0.86		10018		-1340		Yes		RTK		3D		0.6		2409		1.388		0.591		0.512		3.018				WME		Water Meter

		UP5900		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5900		9/12/25 10:58		3727'15.0197"N		794'52.2629"W		59.504		1034770.493		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		100		100		10		11		11.921		-0.52		-61.167		Yes		9/12/25 10:58		RTK		32		0.97		0.59		0.77		9992		-1340		Yes		RTK		3D		1		2409		1.05		0.472		0.433		2.303				WME		Water Meter

		UP5901		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5901		9/12/25 11:00		3727'13.1129"N		794'46.9164"W		472.046		1035242.539		0		UNKNOWN		14		65536		CLASSIC		OMNI PEAK		140		100		100		-4		7		7.808		-2.574		-73.987		Yes		9/12/25 11:00		RTK		32		1.03		0.6		0.84		9855		-1340		Yes		RTK		3D		1		2409		2.362		1.64		0.906		5.752				WME		Water Meter

		UP5902		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5902		9/12/25 11:01		3727'13.0923"N		794'46.8985"W		2.54		1035245.079		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		-1		12		12.067		-1.383		81.075		Yes		9/12/25 11:01		RTK		32		0.97		0.58		0.78		9851		-1340		Yes		RTK		3D		0.8		2409		0.85		0.672		0.512		2.168				WME		Water Meter

		UP5903		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5903		9/12/25 11:02		3727'12.9741"N		794'46.4049"W		41.526		1035286.606		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		-7		10		8.521		-1.716		63.802		Yes		9/12/25 11:02		RTK		32		1.02		0.6		0.83		9847		-1340		Yes		RTK		3D		0.8		2409		0.948		0.759		0.551		2.427				WME		Water Meter

		UP5904		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5904		9/12/25 11:04		3727'11.7584"N		794'43.1002"W		293.333		1035579.938		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		2		5		16.345		-1.421		-85.201		Yes		9/12/25 11:04		RTK		30		1.08		0.64		0.87		9822		-1340		Yes		RTK		3D		0.6		2409		0.759		0.591		0.512		1.923				WME		Water Meter

		UP5905		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5905		9/12/25 11:05		3727'10.9995"N		794'41.1157"W		177.399		1035757.337		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		1		2		10.239		-0.512		-89.658		Yes		9/12/25 11:05		RTK		31		1		0.6		0.8		9741		-1340		Yes		RTK		3D		0.8		2409		1.157		0.672		0.551		2.677				WME		Water Meter

		UP5906		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5906		9/12/25 11:06		3727'10.7885"N		794'40.7642"W		35.488		1035792.825		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		16.344		100		2		13		8.01		0.514		-20.328		Yes		9/12/25 11:06		RTK		31		0.99		0.58		0.8		9716		-1340		Yes		RTK		3D		0.8		2409		1.05		0.672		0.512		2.493				WME		Water Meter

		UP5907		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5907		9/12/25 11:08		3727'10.3393"N		794'39.5504"W		107.855		1035900.681		0		UNKNOWN		95		65536		CLASSIC		OMNI PEAK		140		11.513		100		-7		6		14.424		0.862		88.754		Yes		9/12/25 11:08		RTK		31		1		0.61		0.8		9708		-1340		Yes		RTK		3D		1		2409		0.948		0.85		0.591		2.546				WME		Water Meter

		UP5908		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5908		9/12/25 11:09		3727'9.8984"N		794'38.1863"W		118.618		1036019.299		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		9.414		100		6		10		16.289		-0.741		90.259		Yes		9/12/25 11:10		RTK		29		0.99		0.58		0.8		9690		-1340		Yes		RTK		3D		1.4		2409		1.388		0.759		0.709		3.164				WME		Water Meter

		UP5909		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5909		9/12/25 11:10		3727'9.4706"N		794'37.1693"W		92.695		1036111.995		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		75.211		100		0		12		19.18		-0.208		68.249		Yes		9/12/25 11:10		RTK		32		1.01		0.6		0.81		9670		-1340		Yes		RTK		3D		0.6		2409		0.672		0.512		0.433		1.689				WME		Water Meter

		UP5910		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5910		9/12/25 11:12		3727'10.7128"N		794'39.3475"W		216.001		1036327.995		0		UNKNOWN		14		65536		CLASSIC		OMNI PEAK		140		20.015		100		-1		11		16.261		-2.161		24		Yes		9/12/25 11:12		RTK		31		1.01		0.6		0.81		9740		-1340		Yes		RTK		3D		0.6		2409		0.759		0.672		0.512		2.027				WME		Water Meter

		UP5911		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5911		9/12/25 11:19		3727'13.6610"N		794'46.5282"W		651.071		1036979.066		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		84.273		100		2		11		14.779		-1.271		-89.339		Yes		9/12/25 11:19		RTK		30		1.02		0.6		0.82		9874		-1340		Yes		RTK		3D		1		2409		0.672		0.433		0.433		1.599				WME		Water Meter

		UP5912		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5912		9/12/25 11:20		3727'15.1369"N		794'46.2655"W		151.214		1037130.281		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		6.853		100		14		9		11.667		-1.46		76.335		Yes		9/12/25 11:20		RTK		32		0.98		0.59		0.79		9901		-1340		Yes		RTK		3D		1		2409		1.05		0.672		0.551		2.493				WME		Water Meter

		UP5913		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5913		9/12/25 11:21		3727'15.9832"N		794'46.6059"W		90.123		1037220.404		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		100		100		4		7		11.357		-0.826		87.246		Yes		9/12/25 11:21		RTK		31		0.96		0.58		0.77		9892		-1340		Yes		RTK		3D		1.4		2409		1.512		0.948		0.669		3.568				WME		Water Meter

		UP5914		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5914		9/12/25 11:22		3727'16.6673"N		794'47.2427"W		86.301		1037306.704		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		44.58		100		1		12		12.337		1.82		84.978		Yes		9/12/25 11:22		RTK		32		0.96		0.58		0.77		9849		-1340		Yes		RTK		3D		0.8		2409		1.774		1.157		0.669		4.237				WME		Water Meter

		UP5915		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5915		9/12/25 11:22		3727'17.2597"N		794'48.2139"W		98.635		1037405.34		0		UNKNOWN		103		65536		CLASSIC		OMNI PEAK		140		5.302		100		-8		5		11.777		6.754		-34.852		Yes		9/12/25 11:22		RTK		31		1		0.6		0.8		9773		-1340		Yes		RTK		3D		1.4		2409		4.412		3.034		1.26		10.709				WME		Water Meter

		UP5916		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5916		9/12/25 11:25		3727'18.0946"N		794'50.6800"W		215.913		1037621.253		0		UNKNOWN		37		65536		CLASSIC		OMNI PEAK		140		53.577		100		-11		4		13.277		0.436		53.677		Yes		9/12/25 11:25		RTK		31		1.06		0.63		0.85		9693		-1340		Yes		RTK		3D		0.4		2409		0.591		0.472		0.433		1.513				WME		Water Meter

		UP5917		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5917		9/12/25 11:27		3727'18.5765"N		794'52.2445"W		135.15		1037756.403		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		1		3		8.427		-1.899		-89.409		Yes		9/12/25 11:27		RTK		30		1.18		0.67		0.98		9744		-1340		Yes		RTK		3D		0.8		2409		0.948		0.948		0.63		2.68				WME		Water Meter

		UP5918		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5918		9/12/25 11:28		3727'17.8222"N		794'52.1839"W		76.678		1037833.08		0		UNKNOWN		122		65536		CLASSIC		OMNI PEAK		140		8.582		100		-3		10		15.521		-3.336		-49.889		Yes		9/12/25 11:28		RTK		31		1.05		0.61		0.86		9825		-1340		Yes		RTK		3D		1.4		2409		1.512		0.948		0.669		3.568				WME		Water Meter

		UP5919		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5919		9/12/25 11:31		3727'17.4905"N		794'50.8311"W		114.032		1037947.112		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		23.488		100		0		9		8.968		-0.539		-83.969		Yes		9/12/25 11:32		RTK		32		1.12		0.65		0.91		9764		-1340		Yes		RTK		3D		1		2409		0.948		0.85		0.63		2.546				WME		Water Meter

		UP5920		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5920		9/12/25 11:32		3727'17.4769"N		794'50.8004"W		2.829		1037949.941		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		-3		6		11.084		0.021		-85.728		Yes		9/12/25 11:32		RTK		32		1.03		0.62		0.82		9763		-1340		Yes		RTK		3D		0.8		2409		0.759		0.591		0.472		1.923				WME		Water Meter

		UP5921		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5921		9/12/25 11:33		3727'16.8156"N		794'48.8206"W		172.981		1038122.922		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		93.383		100		-4		11		8.449		0.514		82.582		Yes		9/12/25 11:33		RTK		32		1.05		0.62		0.85		9768		-1340		Yes		RTK		3D		1.2		2409		0.394		0.382		0.394		1.097				WME		Water Meter

		UP5922		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5922		9/12/25 11:34		3727'15.8346"N		794'47.3511"W		154.634		1038277.556		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		69.561		100		1		9		10.078		1.277		89.154		Yes		9/12/25 11:34		RTK		32		0.9		0.54		0.72		9906		-1340		Yes		RTK		3D		0.6		2409		0.948		0.591		0.551		2.233				WME		Water Meter

		UP5923		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5923		9/12/25 11:34		3727'15.7965"N		794'47.3230"W		4.476		1038282.032		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		100		100		-3		10		11.293		0.217		87.648		Yes		9/12/25 11:34		RTK		32		0.9		0.54		0.72		9903		-1340		Yes		RTK		3D		0.4		2409		0.85		0.472		0.433		1.946				WME		Water Meter

		UP5924		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5924		9/12/25 11:40		3727'22.1023"N		795'6.4401"W		1667.2		1039949.232		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		82.02		100		-1		11		12.719		-2.554		81.993		Yes		9/12/25 11:40		RTK		31		1.05		0.6		0.87		10188		-1340		Yes		RTK		3D		0.8		2409		2.058		1.27		0.866		4.837				WME		Water Meter

		UP5925		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5925		9/12/25 11:41		3727'23.4267"N		795'6.3777"W		134.456		1040083.688		0		UNKNOWN		43		65536		CLASSIC		OMNI PEAK		140		10.634		100		0		11		12.489		-1.603		-10.552		Yes		9/12/25 11:41		RTK		32		0.95		0.55		0.77		10162		-1340		Yes		RTK		3D		1.2		2409		1.913		0.85		0.63		4.188				WME		Water Meter

		UP5926		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5926		9/12/25 11:42		3727'24.4881"N		795'6.2108"W		108.514		1040192.203		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		6.704		100		4		10		11.408		-0.092		3.788		Yes		9/12/25 11:42		RTK		32		0.95		0.55		0.77		10144		-1340		Yes		RTK		3D		1.4		2409		0.759		0.551		0.472		1.875				WME		Water Meter

		UP5927		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5927		9/12/25 11:43		3727'25.2618"N		795'6.1586"W		78.607		1040270.809		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		28.066		100		2		10		13.027		-2.169		-55.294		Yes		9/12/25 11:43		RTK		32		0.95		0.55		0.77		10105		-1340		Yes		RTK		3D		0.8		2409		0.472		0.433		0.394		1.282				WME		Water Meter

		UP5928		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5928		9/12/25 11:48		3727'34.8033"N		795'8.7082"W		989.528		1041260.338		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		1.355		100		3		9		11.099		-2.964		-84.217		Yes		9/12/25 11:48		RTK		32		1.05		0.59		0.87		9868		-1340		Yes		RTK		3D		0.4		2409		0.512		0.37		0.394		1.263				WME		Water Meter

		UP5929		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5929		9/12/25 11:49		3727'35.6896"N		795'9.1022"W		95.347		1041355.684		0		UNKNOWN		67		65536		CLASSIC		OMNI PEAK		140		8.948		100		-1		9		10.239		-1.858		65.293		Yes		9/12/25 11:49		RTK		32		0.96		0.54		0.79		9813		-1340		Yes		RTK		3D		1.2		2409		1.27		0.759		0.709		2.959				WME		Water Meter

		UP5930		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5930		9/12/25 11:52		3727'34.0990"N		795'8.3626"W		172.007		1041527.692		0		UNKNOWN		15		65536		CLASSIC		OMNI PEAK		140		44.259		100		-8		8		18.477		-1.082		-2.824		Yes		9/12/25 11:52		RTK		32		1		0.57		0.82		9907		-1340		Yes		RTK		3D		1.2		2409		1.388		0.672		0.591		3.085				WME		Water Meter

		UP5931		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5931		9/12/25 13:06		3726'35.2011"N		795'18.2449"W		0		1041527.692		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.007		100		-7		14		9.348		-1.207		86.277		Yes		9/12/25 13:06		RTK		24		1.51		0.65		1.36		10420		-1339		Yes		RTK		3D		1.6		2627		0.672		0.472		0.591		1.643				WME		Water Meter

		UP5932		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5932		9/12/25 13:06		3726'35.5025"N		795'17.1113"W		96.297		1041623.988		0		UNKNOWN		35		65536		CLASSIC		OMNI PEAK		140		31.686		100		4		8		8.033		-0.674		-84.024		Yes		9/12/25 13:06		RTK		25		1.3		0.61		1.15		10415		-1339		Yes		RTK		3D		0.8		2627		0.551		0.386		0.472		1.346				WME		Water Meter

		UP5933		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5933		9/12/25 13:09		3726'35.4168"N		795'13.6772"W		276.743		1041900.731		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		8.905		100		-16		13		10.731		1.57		11.122		Yes		9/12/25 13:09		RTK		32		1.28		0.58		1.14		10442		-1339		Yes		RTK		3D		0.8		2627		1.05		0.591		0.748		2.409				WME		Water Meter

		UP5934		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5934		9/12/25 13:09		3726'35.3523"N		795'12.5606"W		90.176		1041990.907		0		UNKNOWN		18		65536		CLASSIC		OMNI PEAK		140		39.451		100		-2		11		10.737		2.544		55.487		Yes		9/12/25 13:09		RTK		32		1.22		0.57		1.09		10439		-1340		Yes		RTK		3D		0.4		2627		0.591		0.472		0.551		1.513				WME		Water Meter

		UP5935		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5935		9/12/25 13:10		3726'35.1310"N		795'11.2716"W		106.223		1042097.13		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		8.392		100		-2		9		12.572		0.668		41.457		Yes		9/12/25 13:10		RTK		32		1.1		0.53		0.96		10469		-1340		Yes		RTK		3D		0.4		2627		0.551		0.433		0.551		1.402				WME		Water Meter

		UP5936		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5936		9/12/25 13:12		3726'34.9980"N		795'9.2731"W		161.54		1042258.67		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		62.207		100		6		12		10.705		-0.399		82.919		Yes		9/12/25 13:12		RTK		32		1.14		0.55		0.99		10506		-1340		Yes		RTK		3D		0.4		2627		1.913		1.27		1.063		4.593				WME		Water Meter

		UP5937		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5937		9/12/25 13:12		3726'35.1405"N		795'7.6414"W		132.219		1042390.888		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		4		7		10.598		1.735		-81.661		Yes		9/12/25 13:12		RTK		32		1.13		0.55		0.99		10488		-1340		Yes		RTK		3D		0.6		2627		3.034		1.512		1.22		6.78				WME		Water Meter

		UP5938		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5938		9/12/25 13:17		3726'35.6076"N		795'3.9568"W		300.548		1042691.436		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		41.767		100		2		10		3.091		-0.882		43.999		Yes		9/12/25 13:17		RTK		32		1		0.5		0.87		10400		-1340		Yes		RTK		3D		0.6		2627		0.85		0.672		0.63		2.168				WME		Water Meter

		UP5939		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5939		9/12/25 13:18		3726'35.7079"N		795'2.6327"W		107.136		1042798.572		0		UNKNOWN		62		65536		CLASSIC		OMNI PEAK		140		34.467		100		12		8		15.729		0.902		-4.698		Yes		9/12/25 13:18		RTK		32		1.03		0.51		0.9		10414		-1340		Yes		RTK		3D		1		2627		1.388		0.591		0.748		3.018				WME		Water Meter

		UP5940		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5940		9/12/25 13:18		3726'35.8666"N		795'1.7678"W		71.499		1042870.071		0		UNKNOWN		228		65536		CLASSIC		OMNI PEAK		140		11.322		100		11		10		11.994		-0.717		74.38		Yes		9/12/25 13:19		RTK		32		1		0.5		0.87		10395		-1340		Yes		RTK		3D		0.6		2627		0.433		0.272		0.394		1.022				WME		Water Meter

		UP5941		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5941		9/12/25 13:20		3726'35.9378"N		795'0.7494"W		82.353		1042952.424		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		8.677		100		-9		11		14.835		1.04		43.735		Yes		9/12/25 13:20		RTK		32		1.03		0.52		0.9		10390		-1340		Yes		RTK		3D		1.2		2627		0.591		0.472		0.551		1.513				WME		Water Meter

		UP5942		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5942		9/12/25 13:24		3726'36.3442"N		794'54.3858"W		514.217		1043466.641		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		44.503		100		2		9		13.735		2.595		-14.647		Yes		9/12/25 13:24		RTK		32		1.01		0.51		0.88		10203		-1340		Yes		RTK		3D		0.8		2627		1.157		0.512		0.551		2.531				WME		Water Meter

		UP5943		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5943		9/12/25 13:24		3726'36.2985"N		794'53.8712"W		41.71		1043508.351		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		26.052		100		10		11		11.671		0.388		90.442		Yes		9/12/25 13:24		RTK		32		1.01		0.51		0.88		10170		-1340		Yes		RTK		3D		1.2		2627		0.472		0.323		0.394		1.144				WME		Water Meter

		UP5944		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5944		9/12/25 13:25		3726'36.2871"N		794'53.7793"W		7.495		1043515.846		0		UNKNOWN		111		65536		CLASSIC		OMNI PEAK		140		23.365		100		6		10		14.596		-3.587		77.7		Yes		9/12/25 13:25		RTK		31		1		0.5		0.86		10169		-1340		Yes		RTK		3D		1		2627		0.672		0.394		0.433		1.558				WME		Water Meter

		UP5945		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5945		9/12/25 13:25		3726'36.1989"N		794'53.2202"W		45.915		1043561.761		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.991		100		62		9		6.764		-1.473		-72.786		Yes		9/12/25 13:25		RTK		32		1.06		0.52		0.93		10143		-1340		Yes		RTK		3D		1.2		2627		0.672		0.433		0.551		1.599				WME		Water Meter

		UP5946		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5946		9/12/25 13:28		3726'35.6983"N		794'49.7390"W		284.959		1043846.719		0		UNKNOWN		31		65536		CLASSIC		OMNI PEAK		140		28.167		100		-20		8		12.411		1.371		-59.254		Yes		9/12/25 13:28		RTK		32		1.02		0.51		0.88		10090		-1340		Yes		RTK		3D		0.6		2627		0.85		0.551		0.63		2.027				WME		Water Meter

		UP5947		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5947		9/12/25 13:29		3726'34.0366"N		794'48.2721"W		205.864		1044052.583		0		UNKNOWN		18		65536		CLASSIC		OMNI PEAK		140		27.594		100		2		8		15.183		-0.969		56.079		Yes		9/12/25 13:29		RTK		32		1		0.51		0.86		10046		-1340		Yes		RTK		3D		1		2627		0.591		0.433		0.512		1.465				WME		Water Meter

		UP5948		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5948		9/12/25 13:32		3726'31.1870"N		794'46.7814"W		313.039		1044365.622		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		17.987		100		14		7		11.42		1.316		56.536		Yes		9/12/25 13:32		RTK		32		1.01		0.51		0.88		9986		-1340		Yes		RTK		3D		1		2627		1.05		0.512		0.63		2.336				WME		Water Meter

		UP5949		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5949		9/12/25 13:32		3726'30.0000"N		794'46.2737"W		127.172		1044492.795		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.19		100		-1		12		10.592		-3.43		-62.595		Yes		9/12/25 13:33		RTK		32		1.03		0.52		0.89		9934		-1340		Yes		RTK		3D		1.2		2627		0.551		0.433		0.433		1.402				WME		Water Meter

		UP5950		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5950		9/12/25 13:34		3726'27.0873"N		794'46.9196"W		300.037		1044792.832		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		27.109		100		-8		9		11.433		-0.526		60.046		Yes		9/12/25 13:34		RTK		32		1.04		0.54		0.89		9832		-1340		Yes		RTK		3D		0.6		2627		0.85		0.472		0.591		1.946				WME		Water Meter

		UP5951		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5951		9/12/25 13:35		3726'26.0077"N		794'47.1862"W		111.615		1044904.447		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		49.437		100		-1		10		11.347		1.215		44.577		Yes		9/12/25 13:35		RTK		32		1		0.52		0.86		9774		-1340		Yes		RTK		3D		1.2		2627		0.591		0.433		0.472		1.465				WME		Water Meter

		UP5952		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5952		9/12/25 13:37		3726'20.1369"N		794'47.0536"W		595.688		1045500.135		0		UNKNOWN		21		65536		CLASSIC		OMNI PEAK		140		31.313		100		1		11		9.203		-1.344		38.172		Yes		9/12/25 13:37		RTK		32		1		0.52		0.86		9724		-1340		Yes		RTK		3D		1.4		2627		0.672		0.472		0.472		1.643				WME		Water Meter

		UP5953		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5953		9/12/25 13:39		3726'17.3642"N		794'48.9360"W		319.556		1045819.691		0		UNKNOWN		834		65536		CLASSIC		OMNI PEAK		140		6.761		100		-6		7		19.794		0.628		-66.777		Yes		9/12/25 13:39		FLOAT RTK		32		1.11		0.56		0.95		9473		-1340		Yes		FLOAT RTK		3D		0.6		2627		5.89		3.681		1.339		13.891				WME		Water Meter

		UP5954		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5954		9/12/25 13:40		3726'17.3523"N		794'48.9261"W		1.456		1045821.147		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		25.216		100		-2		12		16.55		9.368		20.544		Yes		9/12/25 13:40		RTK		32		1.18		0.6		1.02		9466		-1340		Yes		RTK		3D		0.8		2627		1.64		0.948		0.787		3.789				WME		Water Meter

		UP5955		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5955		9/12/25 13:41		3726'16.4909"N		794'48.8491"W		87.603		1045908.75		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		31.165		100		-6		10		13.095		-3.385		63.015		Yes		9/12/25 13:41		RTK		32		1.1		0.56		0.95		9417		-1340		Yes		RTK		3D		0.8		2627		0.759		0.472		0.551		1.787				WME		Water Meter

		UP5956		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5956		9/12/25 13:41		3726'16.4730"N		794'48.8431"W		1.884		1045910.633		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		18.133		100		-5		7		10.614		0.11		-23.442		Yes		9/12/25 13:41		RTK		32		1.03		0.54		0.87		9420		-1340		Yes		RTK		3D		0.8		2627		0.672		0.472		0.472		1.643				WME		Water Meter

		UP5957		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5957		9/12/25 13:41		3726'15.8050"N		794'48.7965"W		67.871		1045978.505		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		5.354		100		0		10		9.912		-1.318		75.25		Yes		9/12/25 13:41		RTK		32		1		0.52		0.85		9376		-1340		Yes		RTK		3D		0.6		2627		1.774		0.85		0.787		3.935				WME		Water Meter

		UP5958		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5958		9/12/25 13:42		3726'14.8867"N		794'48.4348"W		97.61		1046076.115		0		UNKNOWN		25		65536		CLASSIC		OMNI PEAK		140		18.026		100		-14		10		10.028		1.683		-20.198		Yes		9/12/25 13:42		RTK		32		1.02		0.54		0.86		9302		-1340		Yes		RTK		3D		1.2		2627		1.774		1.388		0.945		4.506				WME		Water Meter

		UP5959		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5959		9/12/25 13:43		3726'13.9458"N		794'48.1461"W		98.251		1046174.366		0		UNKNOWN		16		65536		CLASSIC		OMNI PEAK		140		12.573		100		4		8		10.792		-0.154		-59.012		Yes		9/12/25 13:43		RTK		32		1.11		0.56		0.96		9203		-1340		Yes		RTK		3D		1.2		2627		1.64		0.672		0.748		3.545				WME		Water Meter

		UP5960		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5960		9/12/25 13:45		3726'13.0157"N		794'47.8922"W		96.547		1046270.913		0		UNKNOWN		27		65536		CLASSIC		OMNI PEAK		140		44.005		100		15		10		14.696		-1.613		73.001		Yes		9/12/25 13:45		RTK		32		1.01		0.52		0.87		9147		-1340		Yes		RTK		3D		1.2		2627		0.512		0.35		0.394		1.241				WME		Water Meter

		UP5961		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5961		9/12/25 13:48		3726'13.0179"N		794'47.8933"W		0.237		1046271.149		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		82.973		100		-5		11		10.913		-0.599		20.372		Yes		9/12/25 13:48		RTK		32		1.02		0.53		0.87		9147		-1340		Yes		RTK		3D		0.8		2627		0.672		0.433		0.472		1.599				WME		Water Meter

		UP5962		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5962		9/12/25 13:51		3726'15.0261"N		794'47.6888"W		204.404		1046475.553		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		91.325		100		0		7		15.257		-0.354		88.972		Yes		9/12/25 13:52		RTK		32		1.07		0.57		0.9		9278		-1340		Yes		RTK		3D		1.2		2627		1.913		0.672		0.591		4.056				WME		Water Meter

		UP5963		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5963		9/12/25 13:52		3726'15.8845"N		794'48.0060"W		90.753		1046566.306		0		UNKNOWN		36		65536		CLASSIC		OMNI PEAK		140		41.984		100		0		12		13.839		-3.443		8.733		Yes		9/12/25 13:52		RTK		32		1.08		0.56		0.93		9352		-1340		Yes		RTK		3D		1.2		2627		1.27		0.472		0.512		2.711				WME		Water Meter

		UP5964		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5964		9/12/25 13:55		3726'17.8177"N		794'47.7770"W		196.988		1046763.294		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		0		10		11.746		-1.117		-55.657		Yes		9/12/25 13:55		RTK		32		1.11		0.57		0.95		9564		-1340		Yes		RTK		3D		1.4		2627		1.388		0.591		0.709		3.018				WME		Water Meter

		UP5965		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5965		9/12/25 13:55		3726'17.8363"N		794'47.7614"W		2.269		1046765.563		0		UNKNOWN		93		65536		CLASSIC		OMNI PEAK		140		70.436		100		0		12		13.42		-0.895		39.444		Yes		9/12/25 13:55		RTK		31		1.11		0.57		0.95		9563		-1340		Yes		RTK		3D		0.8		2627		1.512		0.672		0.748		3.309				WME		Water Meter

		UP5966		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5966		9/12/25 13:58		3726'18.7934"N		794'42.9549"W		399.169		1047164.732		0		UNKNOWN		63		65536		CLASSIC		OMNI PEAK		140		60.814		100		4		7		8.932		1.974		2.862		Yes		9/12/25 13:58		RTK		32		1.13		0.61		0.95		9574		-1340		Yes		RTK		3D		0.8		2627		0.759		0.433		0.472		1.747				WME		Water Meter

		UP5967		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5967		9/12/25 14:00		3726'18.2667"N		794'39.4057"W		290.848		1047455.58		0		UNKNOWN		27		65536		CLASSIC		OMNI PEAK		140		79.368		100		-6		6		8.306		-0.506		26.853		Yes		9/12/25 14:00		RTK		32		1.19		0.64		1		9464		-1340		Yes		RTK		3D		1		2627		0.759		0.335		0.394		1.658				WME		Water Meter

		UP5968		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5968		9/12/25 14:00		3726'18.2647"N		794'39.3818"W		1.936		1047457.516		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		3		8		9.69		-1.174		-13.716		Yes		9/12/25 14:00		RTK		31		1.05		0.56		0.89		9463		-1340		Yes		RTK		3D		1.4		2627		0.512		0.276		0.394		1.163				WME		Water Meter

		UP5969		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5969		9/12/25 14:00		3726'18.2426"N		794'39.3171"W		5.675		1047463.19		0		UNKNOWN		17		65536		CLASSIC		OMNI PEAK		140		97.121		100		-7		7		13.949		-0.787		-26.039		Yes		9/12/25 14:00		RTK		31		1.05		0.56		0.89		9466		-1340		Yes		RTK		3D		0.6		2627		0.672		0.335		0.394		1.501				WME		Water Meter

		UP5970		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5970		9/12/25 14:02		3726'18.6634"N		794'39.2785"W		42.804		1047505.994		0		UNKNOWN		19		65536		CLASSIC		OMNI PEAK		140		96.755		99		13		7		13.803		-1.408		10.4		Yes		9/12/25 14:02		RTK		32		1.06		0.54		0.91		9470		-1340		Yes		RTK		3D		0.6		2627		1.157		0.591		0.63		2.599				WME		Water Meter

		UP5971		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5971		9/12/25 14:03		3726'18.9712"N		794'40.2400"W		83.515		1047589.509		0		UNKNOWN		654		65536		CLASSIC		OMNI PEAK		140		12.122		100		1		8		6.495		0.686		-29.714		Yes		9/12/25 14:03		RTK		32		1.12		0.57		0.97		9482		-1340		Yes		RTK		3D		1.4		2627		1.27		0.85		0.787		3.057				WME		Water Meter

		UP5972		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5972		9/12/25 14:04		3726'19.3529"N		794'42.5974"W		193.799		1047783.308		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		59.508		100		0		13		12.817		-0.358		50.31		Yes		9/12/25 14:04		RTK		32		1.1		0.57		0.94		9567		-1340		Yes		RTK		3D		1		2627		1.388		0.591		0.63		3.018				WME		Water Meter

		UP5973		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5973		9/12/25 14:05		3726'19.5775"N		794'44.7038"W		171.196		1047954.505		0		UNKNOWN		21		65536		CLASSIC		OMNI PEAK		140		60.171		99		-4		10		13.569		-0.225		53.999		Yes		9/12/25 14:05		RTK		32		1.05		0.53		0.9		9695		-1340		Yes		RTK		3D		0.8		2627		0.948		0.433		0.433		2.084				WME		Water Meter

		UP5974		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5974		9/12/25 14:07		3726'20.5162"N		794'46.4120"W		167.338		1048121.842		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		99		-3		10		8.928		-4.152		-13.693		Yes		9/12/25 14:07		RTK		32		1		0.53		0.85		9738		-1340		Yes		RTK		3D		0.8		2627		0.433		0.283		0.394		1.035				WME		Water Meter

		UP5975		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5975		9/12/25 14:07		3726'21.3789"N		794'46.8297"W		93.768		1048215.611		0		UNKNOWN		29		65536		CLASSIC		OMNI PEAK		140		68.943		99		0		9		10.585		-1.357		-77.483		Yes		9/12/25 14:07		RTK		32		0.99		0.52		0.84		9686		-1340		Yes		RTK		3D		1.2		2627		0.551		0.315		0.394		1.27				WME		Water Meter

		UP5976		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5976		9/12/25 14:11		3726'23.8516"N		794'46.9274"W		250.97		1048466.581		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		97		9		10		15.695		4.625		-13.145		Yes		9/12/25 14:11		RTK		32		1.04		0.54		0.89		9685		-1340		Yes		RTK		3D		1.2		2627		2.207		0.759		0.63		4.668				WME		Water Meter

		UP5977		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5977		9/12/25 14:12		3726'24.9970"N		794'46.7734"W		116.862		1048583.442		0		UNKNOWN		26		65536		CLASSIC		OMNI PEAK		140		89.962		98		0		13		12.251		1.192		74.433		Yes		9/12/25 14:12		RTK		31		1.06		0.55		0.91		9739		-1340		Yes		RTK		3D		0.8		2627		3.402		1.05		0.827		7.12				WME		Water Meter

		UP5978		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5978		9/12/25 14:14		3726'27.6592"N		794'45.7100"W		283.346		1048866.788		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		100		98		0		13		11.518		-2.28		85.204		Yes		9/12/25 14:14		RTK		32		1.03		0.54		0.87		9904		-1340		Yes		RTK		3D		0.6		2627		0.591		0.366		0.394		1.39				WME		Water Meter

		UP5979		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5979		9/12/25 14:16		3726'30.9331"N		794'45.9761"W		332.821		1049199.61		0		UNKNOWN		24		65536		CLASSIC		OMNI PEAK		140		71.535		98		0		11		9.568		-0.31		1.58		Yes		9/12/25 14:16		RTK		32		1.01		0.5		0.87		9970		-1340		Yes		RTK		3D		0.8		2627		1.388		0.551		0.591		2.988				WME		Water Meter

		UP5980		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5980		9/12/25 14:17		3726'32.1279"N		794'46.4098"W		126.149		1049325.759		0		UNKNOWN		93		65536		CLASSIC		OMNI PEAK		140		62.966		98		-2		13		15.435		-10.346		-40.505		Yes		9/12/25 14:17		RTK		32		1		0.51		0.85		10069		-1340		Yes		RTK		3D		1.2		2627		2.207		0.85		0.748		4.731				WME		Water Meter

		UP5981		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5981		9/12/25 14:21		3726'35.5270"N		794'46.9794"W		347.878		1049673.637		0		UNKNOWN		443		65536		CLASSIC		OMNI PEAK		140		68.152		98		-9		8		16.511		0.011		-11.089		Yes		9/12/25 14:21		RTK		32		0.93		0.48		0.8		10122		-1340		Yes		RTK		3D		1.2		2627		0.591		0.362		0.394		1.386				WME		Water Meter

		UP5982		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5982		9/12/25 14:25		3726'35.6515"N		794'41.8243"W		415.417		1050089.054		0		UNKNOWN		110		65536		CLASSIC		OMNI PEAK		140		77.697		97		0		13		10.429		-0.653		6.128		Yes		9/12/25 14:25		RTK		31		1.04		0.51		0.91		10034		-1340		Yes		RTK		3D		1.2		2627		1.27		0.591		0.63		2.802				WME		Water Meter

		UP5983		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5983		9/12/25 14:26		3726'35.7099"N		794'40.8276"W		80.5		1050169.554		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		100		96		-1		12		18.327		-2.873		89.225		Yes		9/12/25 14:26		RTK		32		1.02		0.5		0.89		10036		-1340		Yes		RTK		3D		1.2		2627		1.05		0.472		0.472		2.303				WME		Water Meter

		UP5984		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5984		9/12/25 14:26		3726'35.6956"N		794'40.4198"W		32.883		1050202.436		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		100		96		1		12		9.865		-0.126		27.766		Yes		9/12/25 14:26		RTK		31		1.07		0.52		0.94		10029		-1340		Yes		RTK		3D		0.6		2627		1.05		0.472		0.551		2.303				WME		Water Meter

		UP5985		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5985		9/12/25 14:27		3726'35.7454"N		794'39.0685"W		108.961		1050311.398		0		UNKNOWN		33		65536		CLASSIC		OMNI PEAK		140		86.119		96		-4		8		12.943		-2.949		-39.359		Yes		9/12/25 14:27		RTK		32		1.05		0.51		0.92		10019		-1340		Yes		RTK		3D		0.8		2627		0.512		0.472		0.433		1.393				WME		Water Meter

		UP5986		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5986		9/12/25 14:27		3726'35.6206"N		794'37.9954"W		87.358		1050398.756		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		26.462		96		-9		9		17.183		-2.787		-77.48		Yes		9/12/25 14:27		RTK		32		1.06		0.53		0.92		10016		-1340		Yes		RTK		3D		1.4		2627		0.433		0.358		0.394		1.124				WME		Water Meter

		UP5987		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5987		9/12/25 14:32		3726'12.9346"N		794'33.1321"W		2334.601		1052733.356		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		6.684		96		0		9		14.306		-0.92		58.926		Yes		9/12/25 14:32		RTK		31		1.06		0.52		0.93		9199		-1340		Yes		RTK		3D		1.2		2627		2.058		1.05		0.787		4.62				WME		Water Meter

		UP5988		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5988		9/12/25 14:36		3726'36.3442"N		794'29.9125"W		2389.027		1055122.383		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		100		95		-3		9		11.762		-2.131		31.468		Yes		9/12/25 14:36		RTK		32		1.02		0.5		0.88		9842		-1340		Yes		RTK		3D		0.8		2627		0.85		0.512		0.512		1.985				WME		Water Meter

		UP5989		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5989		9/12/25 14:36		3726'36.9299"N		794'29.0276"W		92.797		1055215.181		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		46.309		95		-21		6		16.586		-1.851		28.584		Yes		9/12/25 14:36		RTK		32		1.01		0.5		0.88		9833		-1340		Yes		RTK		3D		0.8		2627		0.551		0.339		0.394		1.294				WME		Water Meter

		UP5990		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5990		9/12/25 14:38		3726'39.6175"N		794'24.5450"W		452.441		1055667.621		0		UNKNOWN		388		65536		CLASSIC		OMNI PEAK		140		100		96		-3		12		10.359		-0.162		-27.364		Yes		9/12/25 14:38		RTK		32		1.01		0.5		0.88		9880		-1340		Yes		RTK		3D		1.6		2696		1.388		0.672		0.709		3.085				WME		Water Meter

		UP5991		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5991		9/12/25 14:39		3726'40.0114"N		794'23.8302"W		70.081		1055737.702		0		UNKNOWN		14		65536		CLASSIC		OMNI PEAK		140		100		96		0		9		14.031		0.386		-15.392		Yes		9/12/25 14:39		RTK		32		0.99		0.5		0.86		9900		-1340		Yes		RTK		3D		1.6		2696		0.759		0.394		0.394		1.709				WME		Water Meter

		UP5992		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5992		9/12/25 14:39		3726'40.1330"N		794'23.6638"W		18.215		1055755.917		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		30.473		96		3		8		12.004		-0.451		-53.287		Yes		9/12/25 14:39		RTK		32		0.99		0.48		0.86		9902		-1340		Yes		RTK		3D		1.4		2696		0.672		0.472		0.433		1.643				WME		Water Meter

		UP5993		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5993		9/12/25 14:41		3726'41.4397"N		794'20.8841"W		260.202		1056016.119		0		UNKNOWN		129		65536		CLASSIC		OMNI PEAK		140		41.625		94		-15		11		12.518		-4.949		50.511		Yes		9/12/25 14:41		RTK		32		1.07		0.52		0.93		9927		-1340		Yes		RTK		3D		0.8		2696		0.394		0.307		0.394		0.999				WME		Water Meter

		UP5994		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5994		9/12/25 14:42		3726'41.9221"N		794'19.6281"W		112.38		1056128.499		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		100		95		-1		10		14.687		-1.415		24.333		Yes		9/12/25 14:42		RTK		32		1.02		0.51		0.88		9930		-1340		Yes		RTK		3D		1.4		2696		0.591		0.433		0.433		1.465				WME		Water Meter

		UP5995		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5995		9/12/25 14:43		3726'42.0560"N		794'19.2131"W		36.083		1056164.582		0		UNKNOWN		58		65536		CLASSIC		OMNI PEAK		140		64.583		94		-3		8		14.479		-1.187		11.951		Yes		9/12/25 14:44		RTK		32		1.09		0.53		0.95		9922		-1340		Yes		RTK		3D		1.2		2696		0.85		0.512		0.551		1.985				WME		Water Meter

		UP5996		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5996		9/12/25 14:44		3726'42.2326"N		794'18.7835"W		38.963		1056203.545		0		UNKNOWN		210		65536		CLASSIC		OMNI PEAK		140		100		95		-4		8		9.58		-4.285		-2.374		Yes		9/12/25 14:44		RTK		32		0.99		0.5		0.86		9927		-1340		Yes		RTK		3D		0.8		2696		0.672		0.512		0.433		1.689				WME		Water Meter

		UP5997		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5997		9/12/25 14:45		3726'42.4960"N		794'17.5215"W		105.102		1056308.646		0		UNKNOWN		56		65536		CLASSIC		OMNI PEAK		140		86.994		94		5		7		11.282		-0.31		-4.462		Yes		9/12/25 14:45		RTK		32		0.96		0.47		0.83		9932		-1340		Yes		RTK		3D		1.4		2696		0.948		0.591		0.551		2.233				WME		Water Meter

		UP5998		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5998		9/12/25 14:46		3726'42.4868"N		794'17.0285"W		39.719		1056348.365		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		100		93		-10		10		6.825		1.807		-40.736		Yes		9/12/25 14:46		RTK		31		0.97		0.5		0.84		9942		-1340		Yes		RTK		3D		1		2696		0.551		0.512		0.433		1.504				WME		Water Meter

		UP5999		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		5999		9/12/25 14:53		3726'42.4687"N		794'13.9931"W		244.492		1056592.857		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		43.904		94		-3		10		12.95		-2.41		-78.679		Yes		9/12/25 14:53		RTK		31		1.03		0.53		0.88		9919		-1340		Yes		RTK		3D		17.8		2696		1.64		0.759		0.63		3.615				WME		Water Meter

		UP6000		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6000		9/12/25 14:53		3726'42.4872"N		794'12.9553"W		83.613		1056676.47		0		UNKNOWN		525		65536		CLASSIC		OMNI PEAK		140		43.926		93		0		12		10.607		-2.877		-70.089		Yes		9/12/25 14:53		RTK		32		1.43		0.66		1.27		9886		-1340		Yes		RTK		3D		0.6		2696		2.058		0.85		0.827		4.453				WME		Water Meter

		UP6001		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6001		9/12/25 14:56		3726'44.2545"N		793'56.5424"W		1334.076		1058010.546		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		37.135		92		6		6		10.716		-0.351		-70.478		Yes		9/12/25 14:56		RTK		32		1.01		0.5		0.88		9778		-1340		Yes		RTK		3D		1.2		2696		0.591		0.394		0.394		1.42				WME		Water Meter

		UP6002		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6002		9/12/25 14:56		3726'44.0403"N		793'58.0932"W		126.787		1058137.333		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		100		92		-4		9		11.229		-3.135		-4.827		Yes		9/12/25 14:57		RTK		32		0.98		0.5		0.84		9785		-1340		Yes		RTK		3D		0.6		2696		0.551		0.472		0.433		1.452				WME		Water Meter

		UP6003		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6003		9/12/25 14:58		3726'44.3291"N		793'55.0196"W		249.295		1058386.628		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		61.328		92		2		11		11.306		0.292		56.956		Yes		9/12/25 14:58		RTK		32		0.96		0.49		0.83		9757		-1340		Yes		RTK		3D		1.2		2696		0.759		0.37		0.394		1.688				WME		Water Meter

		UP6004		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6004		9/12/25 14:58		3726'44.3238"N		793'54.9933"W		2.182		1058388.809		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		100		92		1		11		12.987		-0.302		1.543		Yes		9/12/25 14:58		RTK		32		0.96		0.49		0.83		9756		-1340		Yes		RTK		3D		1.2		2696		0.85		0.472		0.472		1.946				WME		Water Meter

		UP6005		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6005		9/12/25 14:59		3726'44.3089"N		793'54.5964"W		32.005		1058420.815		0		UNKNOWN		17		65536		CLASSIC		OMNI PEAK		140		100		93		6		10		12.955		-1.154		0.936		Yes		9/12/25 14:59		RTK		32		0.96		0.49		0.83		9736		-1340		Yes		RTK		3D		0.8		2696		0.551		0.394		0.394		1.355				WME		Water Meter

		UP6006		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6006		9/12/25 15:00		3726'44.1555"N		793'53.0350"W		126.723		1058547.537		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		4.535		92		-3		11		6.747		0.861		-59.224		Yes		9/12/25 15:00		RTK		32		0.96		0.49		0.82		9723		-1340		Yes		RTK		3D		0.8		2696		0.85		0.551		0.551		2.027				WME		Water Meter

		UP6007		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6007		9/12/25 15:01		3726'44.2776"N		793'50.7243"W		186.52		1058734.058		0		UNKNOWN		25		65536		CLASSIC		OMNI PEAK		140		91.114		92		-1		9		12.825		0.263		45.221		Yes		9/12/25 15:01		RTK		32		0.99		0.52		0.84		9705		-1340		Yes		RTK		3D		1.2		2696		0.948		0.591		0.591		2.233				WME		Water Meter

		UP6008		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6008		9/12/25 15:01		3726'44.2875"N		793'49.2911"W		115.445		1058849.502		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		53.633		93		-5		6		11.71		2.222		-38.278		Yes		9/12/25 15:01		RTK		32		0.95		0.49		0.82		9691		-1340		Yes		RTK		3D		0.6		2696		1.27		0.591		0.512		2.802				WME		Water Meter

		UP6009		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6009		9/12/25 15:07		3726'43.5189"N		793'43.0040"W		512.363		1059361.866		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		28.017		91		14		10		9.782		-0.798		-90.081		Yes		9/12/25 15:07		RTK		32		0.93		0.49		0.79		9488		-1340		Yes		RTK		3D		1.2		2696		0.472		0.394		0.394		1.23				WME		Water Meter

		UP6010		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6010		9/12/25 15:08		3726'42.7807"N		793'40.1381"W		242.673		1059604.539		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		38.066		90		-7		4		12.726		-3.352		80.637		Yes		9/12/25 15:08		RTK		32		0.93		0.49		0.79		9399		-1340		Yes		RTK		3D		1.8		2696		0.85		0.551		0.512		2.027				WME		Water Meter

		UP6011		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6011		9/13/25 10:23		3726'44.2355"N		793'47.4798"W		609.47		1060214.009		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		11.864		100		44		9		10.595		0.768		-81.709		Yes		9/13/25 10:23		RTK		20		1.66		0.77		1.47		9622		-1340		Yes		RTK		3D		0.8		2923		1.512		1.157		0.787		3.808				WME		Water Meter

		UP6012		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6012		9/13/25 10:26		3726'44.7500"N		793'46.0279"W		128.055		1060342.064		0		UNKNOWN		23001		65536		CLASSIC		OMNI PEAK		140		20.342		100		0		7		16.784		0.606		85.266		Yes		9/13/25 10:26		RTK		27		1.17		0.62		0.99		9609		-1340		Yes		RTK		3D		0.8		2923		0.551		0.472		0.394		1.452				WME		Water Meter

		UP6013		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6013		9/13/25 10:26		3726'44.7484"N		793'46.0538"W		2.086		1060344.15		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		15.58		100		5		8		14.538		-0.503		-40.31		Yes		9/13/25 10:26		RTK		28		1.17		0.62		0.99		9609		-1340		Yes		RTK		3D		0.6		2923		0.551		0.394		0.394		1.355				WME		Water Meter

		UP6014		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6014		9/13/25 10:27		3726'44.7314"N		793'46.0990"W		4.034		1060348.185		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		24.093		100		-23		9		13.194		1.339		72.707		Yes		9/13/25 10:27		RTK		28		1.17		0.62		0.99		9606		-1340		Yes		RTK		3D		0.8		2923		0.672		0.551		0.472		1.738				WME		Water Meter

		UP6015		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6015		9/13/25 10:27		3726'44.7467"N		793'46.2179"W		9.697		1060357.882		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		4.592		100		-1		12		4.106		-0.373		42.447		Yes		9/13/25 10:27		RTK		29		1.17		0.62		0.99		9605		-1340		Yes		RTK		3D		0.4		2923		1.64		0.85		0.669		3.695				WME		Water Meter

		UP6016		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6016		9/13/25 10:28		3726'44.7758"N		793'46.6741"W		36.863		1060394.744		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		75.307		100		-2		9		10.313		-0.711		-6.091		Yes		9/13/25 10:28		RTK		29		1.17		0.62		0.99		9600		-1340		Yes		RTK		3D		0.8		2923		0.591		0.512		0.472		1.563				WME		Water Meter

		UP6017		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6017		9/13/25 10:29		3726'44.9514"N		793'48.3965"W		139.875		1060534.619		0		UNKNOWN		454		65536		CLASSIC		OMNI PEAK		140		17.612		100		-20		11		15.617		1.187		68.238		Yes		9/13/25 10:29		RTK		29		1.17		0.62		0.99		9667		-1340		Yes		RTK		3D		1.2		2923		1.157		0.85		0.669		2.873				WME		Water Meter

		UP6018		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6018		9/13/25 10:30		3726'44.9199"N		793'49.6351"W		99.809		1060634.428		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		6.402		100		20		7		13.03		1.259		-64.196		Yes		9/13/25 10:30		RTK		29		1.17		0.62		0.99		9712		-1340		Yes		RTK		3D		1		2923		0.672		0.591		0.551		1.789				WME		Water Meter

		UP6019		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6019		9/13/25 10:32		3726'44.5790"N		793'44.7818"W		392.431		1061026.859		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		3.424		100		-10		9		17.437		-2.657		71.437		Yes		9/13/25 10:32		RTK		28		1.12		0.63		0.93		9586		-1340		Yes		RTK		3D		1.2		2923		0.472		0.394		0.394		1.23				WME		Water Meter

		UP6020		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6020		9/13/25 10:32		3726'44.2974"N		793'43.3747"W		116.881		1061143.74		0		UNKNOWN		341		65536		CLASSIC		OMNI PEAK		140		6.434		100		20		6		7.721		2.051		48.769		Yes		9/13/25 10:32		RTK		29		1.09		0.6		0.91		9533		-1340		Yes		RTK		3D		0.4		2923		0.672		0.472		0.591		1.643				WME		Water Meter

		UP6021		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6021		9/13/25 10:33		3726'44.1035"N		793'42.4970"W		73.38		1061217.12		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		3.534		100		6		11		16.421		1.313		-37.685		Yes		9/13/25 10:33		RTK		28		1.09		0.6		0.91		9493		-1340		Yes		RTK		3D		1.2		2923		0.512		0.512		0.433		1.448				WME		Water Meter

		UP6022		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6022		9/13/25 10:36		3726'43.5424"N		793'40.6598"W		158.545		1061375.664		0		UNKNOWN		38		65536		CLASSIC		OMNI PEAK		140		19.393		100		17		12		11.57		2.241		-5.099		Yes		9/13/25 10:36		RTK		29		1.09		0.59		0.91		9457		-1340		Yes		RTK		3D		0.4		2923		0.948		0.85		0.63		2.546				WME		Water Meter

		UP6023		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6023		9/13/25 10:37		3726'43.1854"N		793'39.4236"W		105.957		1061481.622		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		1.518		100		28		12		16.126		1.889		-75.794		Yes		9/13/25 10:37		RTK		29		1.16		0.61		0.99		9449		-1340		Yes		RTK		3D		0.4		2923		0.948		0.759		0.591		2.427				WME		Water Meter

		UP6024		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6024		9/13/25 10:38		3726'42.7866"N		793'38.2291"W		104.365		1061585.987		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		2.964		100		-10		12		13.209		2.238		87.954		Yes		9/13/25 10:38		RTK		29		1.09		0.59		0.91		9452		-1340		Yes		RTK		3D		1.2		2923		0.948		0.85		0.551		2.546				WME		Water Meter

		UP6025		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6025		9/13/25 10:39		3726'41.8354"N		793'36.2978"W		183.06		1061769.047		0		UNKNOWN		18		65536		CLASSIC		OMNI PEAK		140		73.912		100		4		12		12.037		-0.715		24.353		Yes		9/13/25 10:39		RTK		29		1.09		0.59		0.91		9359		-1340		Yes		RTK		3D		1		2923		1.64		1.27		0.748		4.15				WME		Water Meter

		UP6026		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6026		9/13/25 10:40		3726'41.2173"N		793'35.4377"W		93.438		1061862.484		0		UNKNOWN		90		65536		CLASSIC		OMNI PEAK		140		22.468		100		36		4		6.945		-2.209		41.685		Yes		9/13/25 10:40		RTK		28		1.08		0.59		0.91		9263		-1340		Yes		RTK		3D		1.4		2923		0.759		0.512		0.512		1.83				WME		Water Meter

		UP6027		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6027		9/13/25 10:41		3726'40.3129"N		793'34.0623"W		143.848		1062006.333		0		UNKNOWN		833		65536		CLASSIC		OMNI PEAK		140		8.2		100		28		5		10.778		0.22		89.16		Yes		9/13/25 10:41		RTK		29		1.01		0.57		0.84		9171		-1340		Yes		RTK		3D		0.8		2923		0.551		0.512		0.433		1.504				WME		Water Meter

		UP6028		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6028		9/13/25 10:42		3726'39.9753"N		793'34.7591"W		65.747		1062072.08		0		UNKNOWN		36		65536		CLASSIC		OMNI PEAK		140		28.439		100		2		12		14.142		-2.423		64.391		Yes		9/13/25 10:42		RTK		29		1.08		0.59		0.91		9233		-1340		Yes		RTK		3D		0.8		2923		1.27		1.05		0.63		3.296				WME		Water Meter

		UP6029		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6029		9/13/25 10:43		3726'40.6199"N		793'35.7871"W		105.508		1062177.588		0		UNKNOWN		16		65536		CLASSIC		OMNI PEAK		140		40.761		100		-1		12		6.581		0.156		15.427		Yes		9/13/25 10:43		RTK		28		1.08		0.59		0.91		9281		-1340		Yes		RTK		3D		0.6		2923		0.591		0.512		0.433		1.563				WME		Water Meter

		UP6030		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6030		9/13/25 10:44		3726'41.7955"N		793'37.5897"W		187.897		1062365.486		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		5.716		100		-8		11		14.975		-3.902		-74.028		Yes		9/13/25 10:44		RTK		28		1.06		0.58		0.89		9383		-1340		Yes		RTK		3D		0.4		2923		0.85		0.591		0.512		2.071				WME		Water Meter

		UP6031		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6031		9/13/25 10:45		3726'42.3407"N		793'38.7905"W		111.418		1062476.904		0		UNKNOWN		183		65536		CLASSIC		OMNI PEAK		140		37.343		100		18		12		7.144		-2.621		-36.399		Yes		9/13/25 10:45		FLOAT RTK		29		1.02		0.57		0.85		9391		-1340		Yes		FLOAT RTK		3D		0.6		2923		23.927		20.246		3.937		62.687				WME		Water Meter

		UP6032		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6032		9/13/25 10:51		3726'38.4343"N		793'32.2259"W		660.787		1063137.691		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.006		100		4		10		11.498		1.514		2.806		Yes		9/13/25 10:51		RTK		30		1.06		0.58		0.89		9191		-1340		Yes		RTK		3D		0.6		2923		0.759		0.672		0.512		2.027				WME		Water Meter

		UP6033		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6033		9/13/25 10:51		3726'39.2396"N		793'32.4577"W		83.81		1063221.501		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		1.258		100		0		6		10.819		-2.787		-48.11		Yes		9/13/25 10:51		RTK		31		1.01		0.56		0.84		9166		-1340		Yes		RTK		3D		0.6		2923		0.672		0.551		0.472		1.738				WME		Water Meter

		UP6034		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6034		9/13/25 10:53		3726'38.2006"N		793'31.8082"W		117.681		1063339.182		0		UNKNOWN		160		65536		CLASSIC		OMNI PEAK		140		16.192		100		94		10		12.659		0.438		-82.115		Yes		9/13/25 10:53		RTK		31		0.96		0.56		0.78		9187		-1340		Yes		RTK		3D		1		2923		0.85		0.551		0.472		2.027				WME		Water Meter

		UP6035		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6035		9/13/25 10:54		3726'36.7948"N		793'29.1281"W		258.723		1063597.905		0		UNKNOWN		18		65536		CLASSIC		OMNI PEAK		140		40.595		100		2		10		10.022		-1.141		-65.436		Yes		9/13/25 10:54		RTK		32		0.94		0.54		0.77		9281		-1340		Yes		RTK		3D		1.4		2923		0.759		0.591		0.512		1.923				WME		Water Meter

		UP6036		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6036		9/13/25 10:55		3726'36.4053"N		793'28.4300"W		68.727		1063666.633		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.337		100		19		9		10.286		2.66		1.452		Yes		9/13/25 10:55		RTK		31		0.94		0.54		0.77		9361		-1340		Yes		RTK		3D		1.2		2923		0.948		0.759		0.551		2.427				WME		Water Meter

		UP6037		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6037		9/13/25 10:57		3726'37.1922"N		793'25.1661"W		274.745		1063941.378		0		UNKNOWN		18		65536		CLASSIC		OMNI PEAK		140		22.843		100		35		10		8.771		-2.33		-70.997		Yes		9/13/25 10:57		RTK		32		0.94		0.54		0.77		9556		-1340		Yes		RTK		3D		0.4		2923		1.05		0.85		0.551		2.702				WME		Water Meter

		UP6038		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6038		9/13/25 10:58		3726'38.0923"N		793'22.5680"W		228.33		1064169.708		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		3.21		100		0		8		17.17		-3.051		10.991		Yes		9/13/25 10:58		RTK		32		0.9		0.52		0.73		9686		-1340		Yes		RTK		3D		0.4		2923		1.157		0.759		0.63		2.768				WME		Water Meter

		UP6039		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6039		9/13/25 11:00		3726'38.9137"N		793'21.2105"W		137.477		1064307.185		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		14.45		100		1		9		11.588		-4.177		-71.672		Yes		9/13/25 11:00		RTK		32		0.94		0.54		0.77		9747		-1340		Yes		RTK		3D		0.4		2923		1.05		0.672		0.551		2.493				WME		Water Meter

		UP6040		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6040		9/13/25 11:05		3726'38.2057"N		793'19.5016"W		155.254		1064462.439		0		UNKNOWN		58		65536		CLASSIC		OMNI PEAK		140		72.52		100		-2		9		13.129		0.869		-70.554		Yes		9/13/25 11:05		RTK		31		0.92		0.52		0.75		9861		-1340		Yes		RTK		3D		0.4		2923		0.85		0.672		0.512		2.168				WME		Water Meter

		UP6041		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6041		9/13/25 11:06		3726'38.2185"N		793'19.4042"W		7.955		1064470.394		0		UNKNOWN		51		65536		CLASSIC		OMNI PEAK		140		63.469		100		0		12		12.762		1.455		-67.188		Yes		9/13/25 11:06		RTK		30		0.87		0.51		0.71		9864		-1340		Yes		RTK		3D		1.2		2923		0.551		0.394		0.394		1.355				WME		Water Meter

		UP6042		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6042		9/13/25 11:06		3726'38.2276"N		793'19.3619"W		3.531		1064473.925		0		UNKNOWN		17		65536		CLASSIC		OMNI PEAK		140		58.637		100		1		11		10.684		-0.815		23.761		Yes		9/13/25 11:06		RTK		30		0.87		0.51		0.71		9863		-1340		Yes		RTK		3D		6.2		2923		0.759		0.759		0.512		2.145				WME		Water Meter

		UP6043		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6043		9/13/25 11:07		3726'38.2855"N		793'19.0955"W		22.246		1064496.171		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		40.602		100		1		12		12.728		1.344		-10.708		Yes		9/13/25 11:07		RTK		28		0.95		0.55		0.77		9858		-1340		Yes		RTK		3D		0.4		2923		0.759		0.672		0.512		2.027				WME		Water Meter

		UP6044		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6044		9/13/25 11:07		3726'38.2838"N		793'19.0993"W		0.354		1064496.526		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		100		100		-1		12		11.394		0.811		15.104		Yes		9/13/25 11:07		RTK		30		0.95		0.55		0.77		9859		-1340		Yes		RTK		3D		0.6		2923		0.472		0.433		0.394		1.282				WME		Water Meter

		UP6045		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6045		9/13/25 11:09		3726'39.3043"N		793'15.5895"W		301.061		1064797.587		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		29.15		100		-3		9		12.292		0.909		50.381		Yes		9/13/25 11:09		RTK		31		0.96		0.56		0.77		9893		-1340		Yes		RTK		3D		1		2923		1.774		1.388		0.669		4.506				WME		Water Meter

		UP6046		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6046		9/13/25 11:12		3726'39.9842"N		793'13.5199"W		180.409		1064977.996		0		UNKNOWN		70		65536		CLASSIC		OMNI PEAK		140		94.356		100		-3		10		13.357		-1.609		56.841		Yes		9/13/25 11:12		RTK		32		0.87		0.51		0.7		9795		-1340		Yes		RTK		3D		1.2		2923		1.05		0.85		0.63		2.702				WME		Water Meter

		UP6047		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6047		9/13/25 11:14		3726'34.0927"N		792'58.9815"W		1314.73		1066292.726		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		18.674		100		0		11		16.332		-1.678		21.707		Yes		9/13/25 11:14		RTK		32		0.94		0.54		0.77		9281		-1340		Yes		RTK		3D		1.4		2923		0.85		0.672		0.512		2.168				WME		Water Meter

		UP6048		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6048		9/13/25 11:15		3726'34.0980"N		792'58.9473"W		2.81		1066295.536		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		38.894		100		2		8		16.936		-4.593		-6.991		Yes		9/13/25 11:15		RTK		32		1.04		0.6		0.85		9282		-1340		Yes		RTK		3D		1.2		2923		0.759		0.672		0.512		2.027				WME		Water Meter

		UP6049		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6049		9/13/25 11:15		3726'34.3665"N		792'57.6918"W		104.729		1066400.265		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		19.24		100		-1		11		13.642		-1.376		-70.968		Yes		9/13/25 11:15		RTK		31		0.96		0.56		0.78		9387		-1340		Yes		RTK		3D		0.8		2923		0.433		0.343		0.394		1.104				WME		Water Meter

		UP6050		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6050		9/13/25 11:16		3726'34.7342"N		792'58.6444"W		85.314		1066485.579		0		UNKNOWN		340		65536		CLASSIC		OMNI PEAK		140		57.531		100		-7		7		16.582		-2.917		28.685		Yes		9/13/25 11:16		RTK		32		0.91		0.53		0.74		9200		-1340		Yes		RTK		3D		0.6		2923		0.433		0.37		0.394		1.139				WME		Water Meter

		UP6051		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6051		9/13/25 11:18		3726'38.1923"N		793'3.6422"W		533.977		1067019.557		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		140		100		100		-6		7		13.665		0.87		-36.855		Yes		9/13/25 11:18		RTK		32		0.89		0.53		0.71		9364		-1340		Yes		RTK		3D		0.6		2923		0.759		0.591		0.472		1.923				WME		Water Meter

		UP6052		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6052		9/13/25 11:20		3726'39.2602"N		793'5.2851"W		171.017		1067190.574		0		UNKNOWN		75		65536		CLASSIC		OMNI PEAK		140		54.084		100		-11		5		9.708		-1.356		18.948		Yes		9/13/25 11:20		RTK		32		0.93		0.55		0.75		9326		-1340		Yes		RTK		3D		0.6		2923		1.64		1.388		0.787		4.298				WME		Water Meter

		UP6053		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6053		9/13/25 11:20		3726'39.7276"N		793'6.0526"W		77.914		1067268.488		0		UNKNOWN		63		65536		CLASSIC		OMNI PEAK		140		42.148		100		0		10		6.885		0.224		39.986		Yes		9/13/25 11:20		RTK		32		0.93		0.55		0.75		9345		-1340		Yes		RTK		3D		0.8		2923		1.388		0.948		0.591		3.362				WME		Water Meter

		UP6054		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6054		9/13/25 11:21		3726'40.4271"N		793'7.3399"W		125.648		1067394.136		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		36.089		100		0		10		18.122		-2.578		52.092		Yes		9/13/25 11:21		RTK		31		0.97		0.57		0.78		9391		-1340		Yes		RTK		3D		1		2923		0.433		0.362		0.394		1.129				WME		Water Meter

		UP6055		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6055		9/13/25 11:27		3726'41.5425"N		793'10.6361"W		288.607		1067682.743		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		99.368		100		2		11		10.882		-2.891		-5.929		Yes		9/13/25 11:27		RTK		31		0.94		0.55		0.77		9747		-1340		Yes		RTK		3D		1		2923		0.85		0.591		0.433		2.071				WME		Water Meter

		UP6056		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6056		9/13/25 11:29		3726'44.7282"N		793'7.7313"W		398.987		1068081.729		0		UNKNOWN		27		65536		CLASSIC		OMNI PEAK		140		99.498		100		4		10		15.073		-2.14		5.096		Yes		9/13/25 11:29		RTK		32		0.9		0.52		0.74		9635		-1340		Yes		RTK		3D		1.2		2923		0.394		0.354		0.394		1.059				WME		Water Meter

		UP6057		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6057		9/13/25 11:29		3726'45.2727"N		793'6.6811"W		101.028		1068182.757		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		100		100		6		7		10.237		-0.587		-18.501		Yes		9/13/25 11:29		RTK		32		0.91		0.53		0.74		9573		-1340		Yes		RTK		3D		0.6		2923		1.64		0.85		0.63		3.695				WME		Water Meter

		UP6058		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6058		9/13/25 11:30		3726'45.7614"N		793'5.5816"W		101.495		1068284.252		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		42.667		100		3		11		13.654		-4.86		23.904		Yes		9/13/25 11:30		RTK		32		0.9		0.51		0.74		9478		-1340		Yes		RTK		3D		0.8		2923		0.394		0.366		0.394		1.075				WME		Water Meter

		UP6059		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6059		9/13/25 11:31		3726'46.2207"N		793'4.5005"W		98.758		1068383.01		0		UNKNOWN		176		65536		CLASSIC		OMNI PEAK		140		68.084		100		-1		11		13.962		3.564		-18.453		Yes		9/13/25 11:31		RTK		32		0.88		0.5		0.73		9373		-1340		Yes		RTK		3D		0.6		2923		1.64		1.05		0.827		3.895				WME		Water Meter

		UP6060		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6060		9/13/25 11:31		3726'46.7102"N		793'3.3870"W		102.521		1068485.53		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		26.528		100		3		10		9.988		-0.662		-49.071		Yes		9/13/25 11:31		RTK		32		0.92		0.52		0.76		9269		-1340		Yes		RTK		3D		1		2923		1.05		0.672		0.551		2.493				WME		Water Meter

		UP6061		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6061		9/13/25 11:32		3726'47.0551"N		793'2.5595"W		75.272		1068560.802		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		100		100		-3		10		8.605		-1.754		52.738		Yes		9/13/25 11:32		FLOAT RTK		32		0.89		0.5		0.73		9195		-1340		Yes		FLOAT RTK		3D		1		2923		2.577		2.393		0.394		7.033				WME		Water Meter

		UP6062		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6062		9/13/25 11:34		3726'47.4447"N		793'1.6238"W		85.106		1068645.909		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		1		10		14.074		-0.548		74.494		Yes		9/13/25 11:34		RTK		32		0.89		0.5		0.74		9119		-1340		Yes		RTK		3D		1.4		2923		0.433		0.394		0.394		1.171				WME		Water Meter

		UP6063		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6063		9/13/25 11:35		3726'47.5495"N		793'1.6697"W		11.248		1068657.157		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		50.675		100		0		9		13.733		-3.23		-82.87		Yes		9/13/25 11:35		RTK		32		0.89		0.5		0.74		9129		-1340		Yes		RTK		3D		1.2		2923		0.472		0.37		0.394		1.2				WME		Water Meter

		UP6064		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6064		9/13/25 11:35		3726'47.6959"N		793'1.4697"W		21.917		1068679.074		0		UNKNOWN		19		65536		CLASSIC		OMNI PEAK		140		95.45		100		0		12		15.012		1.369		20.914		Yes		9/13/25 11:35		RTK		32		0.92		0.51		0.76		9126		-1340		Yes		RTK		3D		0.6		2923		0.591		0.472		0.394		1.513				WME		Water Meter

		UP6065		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6065		9/13/25 11:36		3726'47.8635"N		793'1.8970"W		38.392		1068717.466		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		4.881		100		0		11		13.436		-2.863		-36.045		Yes		9/13/25 11:36		RTK		31		0.94		0.53		0.78		9112		-1340		Yes		RTK		3D		1		2923		0.672		0.591		0.472		1.789				WME		Water Meter

		UP6066		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6066		9/13/25 11:37		3726'47.3736"N		793'3.1668"W		113.709		1068831.175		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		100		100		1		9		14.064		-1.742		77.166		Yes		9/13/25 11:37		RTK		31		0.94		0.53		0.78		9222		-1340		Yes		RTK		3D		0.8		2923		0.672		0.512		0.472		1.689				WME		Water Meter

		UP6067		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6067		9/13/25 11:40		3726'45.5487"N		793'7.2679"W		378.663		1069209.837		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		100		0		13		9.973		-2.168		-3.249		Yes		9/13/25 11:40		RTK		32		0.95		0.53		0.79		9646		-1340		Yes		RTK		3D		1.2		2923		0.551		0.472		0.394		1.452				WME		Water Meter

		UP6068		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6068		9/13/25 11:43		3726'44.3252"N		793'9.2570"W		202.673		1069412.51		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		100		-1		12		10.78		-1.109		8.609		Yes		9/13/25 11:43		RTK		31		0.93		0.51		0.78		9696		-1340		Yes		RTK		3D		0.8		2923		0.672		0.472		0.394		1.643				WME		Water Meter

		UP6069		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6069		9/13/25 11:45		3726'40.7926"N		793'13.9811"W		522.702		1069935.212		0		UNKNOWN		56		65536		CLASSIC		OMNI PEAK		140		100		100		-1		7		9.911		1.364		0.079		Yes		9/13/25 11:45		RTK		32		0.95		0.52		0.79		9782		-1340		Yes		RTK		3D		1		2923		0.512		0.433		0.394		1.341				WME		Water Meter

		UP6070		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6070		9/13/25 11:45		3726'40.2894"N		793'14.6391"W		73.587		1070008.799		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		100		100		0		11		12.605		-2.095		-69.928		Yes		9/13/25 11:45		RTK		32		0.93		0.51		0.79		9839		-1340		Yes		RTK		3D		1		2923		0.759		0.591		0.512		1.923				WME		Water Meter

		UP6071		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6071		9/13/25 11:48		3726'39.0107"N		793'18.4337"W		332.035		1070340.834		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		9.954		100		-15		8		11.024		0.91		77.177		Yes		9/13/25 11:48		RTK		32		0.94		0.51		0.79		9879		-1340		Yes		RTK		3D		1.2		2923		0.85		0.591		0.433		2.071				WME		Water Meter

		UP6072		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6072		9/13/25 11:50		3726'45.2738"N		793'36.9064"W		1617.879		1071958.713		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		28.3		100		-8		10		15.993		-2.821		-11.79		Yes		9/13/25 11:50		RTK		32		0.97		0.51		0.82		9317		-1340		Yes		RTK		3D		1		2923		0.512		0.433		0.394		1.341				WME		Water Meter

		UP6073		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6073		9/13/25 11:50		3726'46.2774"N		793'35.1496"W		174.332		1072133.045		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		54.819		100		-5		9		14.178		-0.753		-43.302		Yes		9/13/25 11:50		FLOAT RTK		32		0.94		0.5		0.79		9168		-1340		Yes		FLOAT RTK		3D		0.6		2923		23.927		14.908		3.307		56.383				WME		Water Meter

		UP6074		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6074		9/13/25 11:51		3726'47.1932"N		793'33.3805"W		170.1		1072303.144		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		47.571		100		7		7		11.116		0.943		-88.378		Yes		9/13/25 11:51		RTK		32		0.94		0.5		0.79		9069		-1340		Yes		RTK		3D		0.8		2923		1.157		0.672		0.63		2.677				WME		Water Meter

		UP6075		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6075		9/13/25 11:52		3726'48.0000"N		793'32.0439"W		135.236		1072438.38		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		86.07		100		-1		8		10.516		-6.08		12.81		Yes		9/13/25 11:52		RTK		32		0.94		0.5		0.79		8983		-1340		Yes		RTK		3D		1.4		2923		0.759		0.591		0.551		1.923				WME		Water Meter

		UP6076		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6076		9/13/25 11:53		3726'48.7603"N		793'31.3084"W		97.254		1072535.635		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		100		100		2		12		9.019		-2.337		-1.85		Yes		9/13/25 11:53		RTK		32		1		0.54		0.84		8931		-1340		Yes		RTK		3D		0.8		2923		0.433		0.374		0.394		1.144				WME		Water Meter

		UP6077		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6077		9/13/25 11:55		3726'50.4019"N		793'30.5762"W		176.673		1072712.308		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		-2		11		14.016		-5.64		59.541		Yes		9/13/25 11:55		RTK		32		1		0.54		0.84		8863		-1340		Yes		RTK		3D		1		2923		0.512		0.472		0.394		1.393				WME		Water Meter

		UP6078		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6078		9/13/25 11:56		3726'51.5463"N		793'30.0051"W		124.882		1072837.19		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		7		9		10.278		-1.255		-40.572		Yes		9/13/25 11:56		RTK		31		0.98		0.51		0.83		8776		-1340		Yes		RTK		3D		0.4		2923		0.672		0.512		0.472		1.689				WME		Water Meter

		UP6079		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6079		9/13/25 11:57		3726'52.4477"N		793'30.1561"W		92.251		1072929.441		0		UNKNOWN		37		65536		CLASSIC		OMNI PEAK		140		52.497		100		37		8		10.43		-1.464		89.545		Yes		9/13/25 11:57		RTK		32		1.05		0.57		0.89		8687		-1340		Yes		RTK		3D		0.8		2923		0.591		0.472		0.433		1.513				WME		Water Meter

		UP6080		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6080		9/13/25 11:57		3726'52.1059"N		793'30.5251"W		45.673		1072975.114		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		100		100		0		9		12.991		1.601		70.435		Yes		9/13/25 11:57		RTK		30		0.99		0.52		0.84		8713		-1340		Yes		RTK		3D		1		2923		1.05		0.85		0.63		2.702				WME		Water Meter

		UP6081		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6081		9/13/25 11:58		3726'50.7567"N		793'31.1693"W		146.378		1073121.492		0		UNKNOWN		27		65536		CLASSIC		OMNI PEAK		140		100		100		6		10		13.751		-2.249		88.545		Yes		9/13/25 11:58		RTK		30		0.97		0.51		0.83		8807		-1340		Yes		RTK		3D		1.2		2923		1.774		0.85		0.906		3.935				WME		Water Meter

		UP6082		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6082		9/13/25 11:59		3726'49.5134"N		793'31.7953"W		135.833		1073257.326		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		100		100		0		11		11.802		-1.957		-23.868		Yes		9/13/25 11:59		RTK		31		0.97		0.51		0.83		8890		-1340		Yes		RTK		3D		1.2		2923		0.672		0.591		0.551		1.789				WME		Water Meter

		UP6083		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6083		9/13/25 12:00		3726'48.1279"N		793'32.9412"W		168.157		1073425.483		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		64.628		100		0		12		14.179		5.407		80.371		Yes		9/13/25 12:00		RTK		32		1.04		0.55		0.88		9000		-1340		Yes		RTK		3D		0.6		2923		0.759		0.591		0.512		1.923				WME		Water Meter

		UP6084		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6084		9/13/25 12:01		3726'47.1088"N		793'34.9230"W		190.181		1073615.664		0		UNKNOWN		90		65536		CLASSIC		OMNI PEAK		140		89.191		100		1		10		11.328		-0.192		8.676		Yes		9/13/25 12:01		RTK		32		1.04		0.54		0.88		9096		-1340		Yes		RTK		3D		0.8		2923		0.591		0.433		0.472		1.465				WME		Water Meter

		UP6085		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6085		9/13/25 12:03		3726'44.7291"N		793'54.2811"W		1577.762		1075193.426		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		100		100		4		11		12.585		-1.515		-37.998		Yes		9/13/25 12:03		RTK		32		1.04		0.54		0.88		9769		-1340		Yes		RTK		3D		1.4		2923		0.512		0.433		0.433		1.341				WME		Water Meter

		UP6086		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6086		9/13/25 12:04		3726'44.8026"N		793'56.4749"W		176.855		1075370.28		0		UNKNOWN		466		65536		CLASSIC		OMNI PEAK		140		54.663		100		0		11		14.167		0.101		60.531		Yes		9/13/25 12:04		RTK		31		1.04		0.54		0.88		9779		-1340		Yes		RTK		3D		1.4		2923		0.591		0.472		0.512		1.513				WME		Water Meter

		UP6087		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6087		9/15/25 7:21		3726'42.9758"N		794'14.4166"W		1456.943		1076827.224		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		45.972		100		-12		9		20.736		2.825		-19.347		Yes		9/15/25 7:21		RTK		32		1.02		0.5		0.89		9946		-1340		Yes		RTK		3D		0.8		3447		0.472		0.433		0.472		1.282				WME		Water Meter

		UP6088		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6088		9/15/25 7:34		3726'38.2040"N		794'27.9013"W		1189.13		1078016.354		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		1.575		100		-17		9		13.306		0.837		72.86		Yes		9/15/25 7:34		RTK		32		1.15		0.53		1.02		9868		-1340		Yes		RTK		3D		0.6		3447		0.85		0.551		0.63		2.027				WME		Water Meter

		UP6089		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6089		9/15/25 7:47		3726'36.2998"N		794'38.1335"W		846.509		1078862.863		0		UNKNOWN		39		65536		CLASSIC		OMNI PEAK		140		46.605		100		-1		12		13.534		1.141		81.36		Yes		9/15/25 7:47		RTK		32		1.07		0.51		0.94		10007		-1340		Yes		RTK		3D		1		3447		0.512		0.433		0.394		1.341				WME		Water Meter

		UP6090		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6090		9/15/25 7:49		3726'36.1228"N		794'41.7769"W		294.012		1079156.875		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		1		9		8.038		-1.358		-75.093		Yes		9/15/25 7:49		RTK		31		1.09		0.51		0.96		10043		-1340		Yes		RTK		3D		1.4		3447		0.551		0.472		0.433		1.452				WME		Water Meter

		UP6091		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6091		9/15/25 7:50		3726'36.1358"N		794'42.2629"W		39.173		1079196.047		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		-3		6		12.487		-0.173		82.806		Yes		9/15/25 7:50		RTK		32		1.09		0.51		0.96		10046		-1340		Yes		RTK		3D		1		3447		0.512		0.472		0.433		1.393				WME		Water Meter

		UP6092		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6092		9/15/25 7:51		3726'36.0079"N		794'44.7144"W		197.889		1079393.937		0		UNKNOWN		65		65536		CLASSIC		OMNI PEAK		140		18.802		100		-12		10		8.489		0.04		12.365		Yes		9/15/25 7:51		RTK		32		1.05		0.51		0.92		10044		-1340		Yes		RTK		3D		0.8		3447		0.85		0.512		0.512		1.985				WME		Water Meter

		UP6093		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		6093		9/15/25 7:52		3726'36.2245"N		794'45.0201"W		32.997		1079426.934		0		UNKNOWN		51		65536		CLASSIC		OMNI PEAK		140		87.349		100		0		9		21.868		-4.166		-39.5		Yes		9/15/25 7:52		DGPS SPS VALID		32		1.12		0.54		0.98		9989		-1340		Yes		DIFFERENTIAL		3D		1.6		3447		11.161		9.248		11.417		28.99				WME		Water Meter

		UP6094		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6094		9/15/25 7:52		3726'36.2264"N		794'45.0178"W		0.265		1079427.199		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		16.562		100		18		5		20.376		-0.51		-47.709		Yes		9/15/25 7:52		FLOAT RTK		31		1.23		0.57		1.09		9988		-1340		Yes		FLOAT RTK		3D		2.4		3447		23.927		22.087		4.331		65.125				WME		Water Meter

		UP6095		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6095		9/15/25 8:03		3726'36.9226"N		794'57.2551"W		988.204		1080415.403		0		UNKNOWN		80		65536		CLASSIC		OMNI PEAK		140		100		100		-3		12		11.937		0.408		12.329		Yes		9/15/25 8:03		RTK		32		0.96		0.5		0.82		10304		-1340		Yes		RTK		3D		1		3447		0.551		0.512		0.394		1.504				WME		Water Meter

		UP6096		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6096		9/15/25 9:03		3729'33.8597"N		793'33.9278"W		0		1080415.403		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		1.468		100		-35		10		11.981		-1.368		85.965		Yes		9/15/25 9:03		RTK		32		1		0.6		0.8		10031		-1340		Yes		RTK		3D		1.2		3489		0.472		0.362		0.394		1.191				WME		Water Meter

		UP6097		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6097		9/15/25 11:02		3729'18.7772"N		793'45.2011"W		1778.977		1082194.379		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		0		12		13.732		0.713		3.545		Yes		9/15/25 11:02		RTK		31		1.11		0.64		0.91		9389		-1340		Yes		RTK		3D		0.8		3489		1.27		1.05		0.709		3.296				WME		Water Meter

		UP6098		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6098		9/15/25 11:32		3729'11.0108"N		793'25.6153"W		1762.559		1083956.939		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		7.934		100		-3		11		9.327		-1.609		45.292		Yes		9/15/25 11:32		RTK		28		0.97		0.51		0.83		10146		-1340		Yes		RTK		3D		2.2		3671		1.157		0.551		0.63		2.564				WME		Water Meter

		UP6099		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6099		9/15/25 11:34		3729'9.6601"N		793'26.2525"W		146.309		1084103.248		0		UNKNOWN		52		65536		CLASSIC		OMNI PEAK		140		13.928		100		50		9		16.261		-1.529		-43.019		Yes		9/15/25 11:34		RTK		29		0.94		0.5		0.8		10120		-1340		Yes		RTK		3D		1.6		3671		2.688		0.672		0.984		5.541				WME		Water Meter

		UP6100		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6100		9/15/25 11:34		3729'8.8112"N		793'26.6865"W		92.936		1084196.184		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.947		100		0		10		16.192		0.489		15.334		Yes		9/15/25 11:34		RTK		29		0.95		0.5		0.8		10095		-1340		Yes		RTK		3D		1.8		3671		0.433		0.354		0.394		1.119				WME		Water Meter

		UP6101		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6101		9/15/25 11:37		3728'50.2488"N		793'33.8154"W		1968.679		1086164.863		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		37.763		100		-1		10		7.096		2.75		43.751		Yes		9/15/25 11:37		RTK		31		0.96		0.51		0.82		10124		-1340		Yes		RTK		3D		0.6		3671		0.394		0.37		0.394		1.081				WME		Water Meter

		UP6102		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6102		9/15/25 11:39		3728'46.6538"N		793'37.4992"W		470.072		1086634.935		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		100		100		-5		9		13.409		4.009		-14.45		Yes		9/15/25 11:39		RTK		32		0.96		0.51		0.82		10000		-1340		Yes		RTK		3D		0.6		3671		0.672		0.512		0.472		1.689				WME		Water Meter

		UP6103		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6103		9/15/25 11:41		3728'43.8806"N		793'38.9179"W		303.644		1086938.579		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		54.666		100		-19		11		10.632		-0.664		-52.584		Yes		9/15/25 11:41		RTK		32		0.97		0.51		0.82		10042		-1340		Yes		RTK		3D		1.4		3671		0.85		0.551		0.591		2.027				WME		Water Meter

		UP6104		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6104		9/15/25 11:43		3728'41.8305"N		793'39.3588"W		210.984		1087149.563		0		UNKNOWN		273		65536		CLASSIC		OMNI PEAK		140		66.44		100		11		8		11.695		-0.776		-29.45		Yes		9/15/25 11:43		RTK		32		0.98		0.52		0.84		10118		-1340		Yes		RTK		3D		1.2		3671		0.672		0.591		0.512		1.789				WME		Water Meter

		UP6105		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6105		9/15/25 11:43		3728'41.5868"N		793'39.4528"W		25.858		1087175.421		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		100		100		1		12		12.725		-4.797		-4.505		Yes		9/15/25 11:43		RTK		32		1		0.52		0.85		10132		-1340		Yes		RTK		3D		1.4		3671		0.433		0.394		0.394		1.171				WME		Water Meter

		UP6106		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6106		9/15/25 11:45		3728'37.5325"N		793'41.5762"W		445.429		1087620.85		0		UNKNOWN		38		65536		CLASSIC		OMNI PEAK		140		61.661		100		4		7		11.812		-1.068		-15.234		Yes		9/15/25 11:45		RTK		32		0.98		0.51		0.84		9941		-1340		Yes		RTK		3D		0.6		3671		0.759		0.512		0.551		1.83				WME		Water Meter

		UP6107		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6107		9/15/25 11:45		3728'36.7636"N		793'42.1892"W		92.3		1087713.15		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		97.953		100		4		11		6.2		-1.513		55.667		Yes		9/15/25 11:45		RTK		32		0.98		0.51		0.84		9873		-1340		Yes		RTK		3D		0.6		3671		0.759		0.551		0.551		1.875				WME		Water Meter

		UP6108		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6108		9/15/25 11:46		3728'35.4837"N		793'42.9321"W		142.965		1087856.115		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		0		11		7.723		-0.757		-3.7		Yes		9/15/25 11:46		RTK		32		1.04		0.54		0.88		9763		-1340		Yes		RTK		3D		0.8		3671		1.157		0.759		0.63		2.768				WME		Water Meter

		UP6109		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6109		9/15/25 11:46		3728'34.6605"N		793'43.5130"W		95.713		1087951.829		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		10.648		100		-7		6		12.624		1.47		24.306		Yes		9/15/25 11:46		RTK		31		0.98		0.51		0.84		9706		-1340		Yes		RTK		3D		1.2		3671		1.05		0.551		0.709		2.372				WME		Water Meter

		UP6110		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6110		9/15/25 11:47		3728'33.7124"N		793'44.0840"W		106.606		1088058.435		0		UNKNOWN		22		65536		CLASSIC		OMNI PEAK		140		82.314		100		-7		10		8.865		0.181		-14.271		Yes		9/15/25 11:47		RTK		32		1.09		0.56		0.94		9630		-1340		Yes		RTK		3D		1.2		3671		0.591		0.433		0.433		1.465				WME		Water Meter

		UP6111		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6111		9/15/25 12:06		3728'38.9577"N		794'1.3843"W		1491.054		1089549.49		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		22.797		100		1		10		11.584		3.744		45.011		Yes		9/15/25 12:06		RTK		32		1		0.51		0.86		9171		-1340		Yes		RTK		3D		0.8		3706		0.472		0.331		0.394		1.153				WME		Water Meter

		UP6112		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6112		9/15/25 12:21		3728'31.3817"N		793'44.8350"W		1538.193		1091087.682		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		100		100		0		10		14.954		-1.685		67.667		Yes		9/15/25 12:21		RTK		31		1.13		0.55		0.98		9581		-1340		Yes		RTK		3D		0.4		3706		1.05		0.433		0.551		2.271				WME		Water Meter

		UP6113		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6113		9/15/25 12:22		3728'30.0468"N		793'44.9399"W		135.685		1091223.367		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		100		100		-4		12		14.845		1.491		-54.525		Yes		9/15/25 12:22		RTK		31		1.12		0.55		0.98		9637		-1340		Yes		RTK		3D		1		3706		0.672		0.472		0.551		1.643				WME		Water Meter

		UP6114		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6114		9/15/25 12:22		3728'30.0101"N		793'44.9495"W		3.803		1091227.17		0		UNKNOWN		194		65536		CLASSIC		OMNI PEAK		140		55.567		100		43		6		17.465		-4.375		-51.465		Yes		9/15/25 12:22		RTK		29		1.05		0.51		0.92		9641		-1340		Yes		RTK		3D		1		3706		1.05		0.512		0.63		2.336				WME		Water Meter

		UP6115		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6115		9/15/25 12:24		3728'14.4148"N		793'52.3854"W		1691.642		1092918.812		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		14.153		100		9		10		10.359		-0.785		-42.519		Yes		9/15/25 12:24		RTK		31		1.23		0.6		1.07		9058		-1340		Yes		RTK		3D		0.4		3706		1.388		0.759		0.748		3.164				WME		Water Meter

		UP6116		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6116		9/15/25 12:26		3728'13.6822"N		793'55.0616"W		227.936		1093146.747		0		UNKNOWN		109		65536		CLASSIC		OMNI PEAK		140		51.019		100		1		11		14.117		-0.58		81.171		Yes		9/15/25 12:26		RTK		31		1.17		0.57		1.02		8984		-1340		Yes		RTK		3D		0.8		3706		1.27		0.394		0.669		2.66				WME		Water Meter

		UP6117		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6117		9/15/25 12:28		3728'10.6009"N		794'0.9770"W		569.717		1093716.464		0		UNKNOWN		10		65536		CLASSIC		OMNI PEAK		140		100		100		1		8		15.876		-2.507		-29.195		Yes		9/15/25 12:28		RTK		31		1.15		0.57		1		8549		-1340		Yes		RTK		3D		1.2		3706		0.85		0.433		0.433		1.909				WME		Water Meter

		UP6118		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6118		9/15/25 12:30		3728'12.7007"N		793'57.3459"W		361.739		1094078.203		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		18.915		100		8		9		14.252		-1.361		89.492		Yes		9/15/25 12:30		FLOAT RTK		30		1.27		0.62		1.1		8918		-1340		Yes		FLOAT RTK		3D		1.2		3706		5.338		3.497		0.984		12.762				WME		Water Meter

		UP6119		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6119		9/15/25 12:31		3728'11.5867"N		793'58.1621"W		130.732		1094208.935		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		26.875		100		0		13		11.274		-1.283		77.891		Yes		9/15/25 12:31		RTK		30		1.19		0.57		1.05		8870		-1340		Yes		RTK		3D		1.2		3706		0.759		0.433		0.512		1.747				WME		Water Meter

		UP6120		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6120		9/15/25 12:36		3727'51.7411"N		794'24.4288"W		2920.081		1097129.017		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		0		13		15.792		-4.088		31.474		Yes		9/15/25 12:36		RTK		32		1.15		0.55		1.01		9043		-1340		Yes		RTK		3D		0.8		3706		0.759		0.433		0.472		1.747				WME		Water Meter

		UP6121		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6121		9/15/25 12:36		3727'50.9561"N		794'26.2371"W		165.971		1097294.987		0		UNKNOWN		29		65536		CLASSIC		OMNI PEAK		140		100		100		1		11		13.028		-1.373		-42.756		Yes		9/15/25 12:36		RTK		32		1.15		0.55		1.01		9168		-1340		Yes		RTK		3D		0.6		3706		0.394		0.331		0.394		1.028				WME		Water Meter

		UP6122		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6122		9/15/25 12:38		3727'47.9643"N		794'31.0289"W		490.928		1097785.915		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		19.054		100		14		4		13.044		0.583		-22.138		Yes		9/15/25 12:38		RTK		32		1.15		0.55		1.01		9366		-1340		Yes		RTK		3D		1.4		3706		0.759		0.472		0.591		1.787				WME		Water Meter

		UP6123		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6123		9/15/25 12:40		3727'46.0845"N		794'32.4388"W		221.942		1098007.858		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		15.717		100		8		11		8.603		1.206		62.65		Yes		9/15/25 12:40		RTK		32		1.14		0.55		1		9457		-1340		Yes		RTK		3D		0.6		3706		0.672		0.512		0.551		1.689				WME		Water Meter

		UP6124		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6124		9/15/25 12:41		3727'45.6621"N		794'32.8715"W		55.233		1098063.091		0		UNKNOWN		1122		65536		CLASSIC		OMNI PEAK		140		50.022		100		1		11		13.89		-0.028		-22.246		Yes		9/15/25 12:41		RTK		32		1.2		0.55		1.07		9486		-1340		Yes		RTK		3D		0.8		3706		0.551		0.472		0.591		1.452				WME		Water Meter

		UP6125		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6125		9/15/25 12:48		3727'56.6608"N		794'16.6681"W		1716.827		1099779.919		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		46.231		100		-2		9		13.452		-0.195		27.434		Yes		9/15/25 12:48		RTK		32		1.14		0.53		1		8478		-1340		Yes		RTK		3D		1		3706		1.512		0.591		0.787		3.246				WME		Water Meter

		UP6126		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6126		9/16/25 7:30		3732'18.1175"N		795'5.2118"W		0		1099779.919		0		UNKNOWN		53		65536		CLASSIC		OMNI PEAK		140		10.719		100		0		12		13.313		0.626		75.983		Yes		9/16/25 7:30		RTK		16		2.12		0.92		1.91		10656		-1340		Yes		RTK		3D		1.2		60		2.207		0.948		1.102		4.804				WME		Water Meter

		UP6127		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6127		9/16/25 7:31		3732'16.2685"N		795'6.1074"W		200.945		1099980.864		0		UNKNOWN		15		65536		CLASSIC		OMNI PEAK		140		20.6		100		0		12		9.628		4.178		4.384		Yes		9/16/25 7:31		RTK		23		1.51		0.74		1.31		10756		-1340		Yes		RTK		3D		1.4		60		0.948		0.591		0.709		2.233				WME		Water Meter

		UP6128		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6128		9/16/25 7:31		3732'15.8204"N		795'6.2211"W		46.372		1100027.236		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.322		100		4		6		7.233		-2.002		-77.941		Yes		9/16/25 7:31		FLOAT RTK		25		1.3		0.66		1.12		10758		-1340		Yes		FLOAT RTK		3D		0.6		60		4.233		2.761		0.709		10.108				WME		Water Meter

		UP6129		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6129		9/16/25 7:32		3732'15.2333"N		795'5.7327"W		71.356		1100098.593		0		UNKNOWN		16		65536		CLASSIC		OMNI PEAK		140		21.338		100		16		9		10.367		-1.037		-33.33		Yes		9/16/25 7:32		RTK		28		1.25		0.65		1.06		10736		-1340		Yes		RTK		3D		1.4		60		0.394		0.362		0.394		1.07				WME		Water Meter

		UP6130		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6130		9/16/25 7:35		3732'10.4995"N		795'12.3460"W		716.716		1100815.309		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		1.56		100		-9		11		12.194		1.016		26.495		Yes		9/16/25 7:35		RTK		29		1.35		0.69		1.15		10908		-1340		Yes		RTK		3D		0.8		60		1.157		0.85		0.787		2.873				WME		Water Meter

		UP6131		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6131		9/16/25 7:41		3732'57.1451"N		793'49.2848"W		0		1100815.309		0		UNKNOWN		15		65536		CLASSIC		OMNI PEAK		140		100		100		46		10		14.087		0.052		-71.537		Yes		9/16/25 7:41		RTK		32		1.22		0.65		1.03		9398		-1340		Yes		RTK		3D		0.8		60		0.85		0.672		0.669		2.168				WME		Water Meter

		UP6132		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6132		9/16/25 7:42		3732'55.9362"N		793'50.1808"W		142.248		1100957.557		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		-1		11		12.41		-0.897		-29.844		Yes		9/16/25 7:42		RTK		32		1.21		0.64		1.03		9427		-1340		Yes		RTK		3D		1		60		0.512		0.472		0.512		1.393				WME		Water Meter

		UP6133		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6133		9/16/25 7:45		3732'51.6483"N		793'57.4654"W		729.754		1101687.311		0		UNKNOWN		22		65536		CLASSIC		OMNI PEAK		140		100		100		0		11		13.033		1.342		-9.748		Yes		9/16/25 7:45		RTK		32		1.2		0.64		1.01		9835		-1340		Yes		RTK		3D		1.4		60		0.85		0.85		0.669		2.405				WME		Water Meter

		UP6134		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6134		9/16/25 7:48		3733'6.1742"N		793'38.0437"W		2147.533		1103834.845		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		100		100		2		8		16.556		-1.619		15.464		Yes		9/16/25 7:48		RTK		32		1.3		0.7		1.09		9564		-1340		Yes		RTK		3D		1		60		0.672		0.512		0.551		1.689				WME		Water Meter

		UP6135		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6135		9/16/25 7:50		3733'7.2640"N		793'33.0881"W		413.63		1104248.475		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		100		100		-1		12		11.659		-0.319		12.138		Yes		9/16/25 7:50		RTK		32		1.14		0.63		0.95		9502		-1340		Yes		RTK		3D		1		60		0.512		0.386		0.394		1.282				WME		Water Meter

		UP6136		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6136		9/16/25 7:54		3733'18.8199"N		793'25.7483"W		1312.59		1105561.065		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		12.152		100		-9		9		14.364		-2.244		31.867		Yes		9/16/25 7:54		RTK		32		1.19		0.64		1.01		9776		-1340		Yes		RTK		3D		0.8		60		0.759		0.672		0.669		2.027				WME		Water Meter

		UP6137		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6137		9/16/25 7:58		3733'2.4701"N		793'44.3574"W		2234.139		1107795.204		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.828		100		-9		8		9.449		0.231		75.889		Yes		9/16/25 7:58		RTK		31		1.21		0.65		1.02		9631		-1340		Yes		RTK		3D		0.4		60		1.388		0.672		0.63		3.085				WME		Water Meter

		UP6138		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6138		9/16/25 8:05		3732'40.2068"N		793'12.6442"W		0		1107795.204		0		UNKNOWN		122		65536		CLASSIC		OMNI PEAK		140		65.251		100		-4		4		9.444		1.633		-37.491		Yes		9/16/25 8:05		RTK		32		1.27		0.69		1.06		9267		-1340		Yes		RTK		3D		0.6		60		0.759		0.591		0.551		1.923				WME		Water Meter

		UP6139		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		6139		9/16/25 8:07		3732'41.0919"N		793'11.6605"W		119.681		1107914.886		0		UNKNOWN		24		65536		CLASSIC		OMNI PEAK		140		62.207		100		9		5		18.188		-5.263		-54.209		Yes		9/16/25 8:07		DGPS SPS VALID		32		1.17		0.62		0.98		9240		-1340		Yes		DIFFERENTIAL		3D		1.4		60		2.105		1.722		1.929		5.439				WME		Water Meter

		UP6140		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6140		9/16/25 8:07		3732'41.0899"N		793'11.6622"W		0.244		1107915.13		0		UNKNOWN		53		65536		CLASSIC		OMNI PEAK		140		73.205		100		-3		11		17.485		-1.071		27.524		Yes		9/16/25 8:07		RTK		32		1.17		0.62		0.98		9238		-1340		Yes		RTK		3D		1.2		60		0.512		0.394		0.394		1.291				WME		Water Meter

		UP6141		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6141		9/16/25 8:08		3732'41.5534"N		793'11.9390"W		52.024		1107967.154		0		UNKNOWN		100		65536		CLASSIC		OMNI PEAK		140		35.521		100		3		5		32.515		0.197		42.369		Yes		9/16/25 8:08		RTK		32		1.16		0.62		0.98		9194		-1340		Yes		RTK		3D		0.8		60		0.672		0.551		0.472		1.738				WME		Water Meter

		UP6142		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6142		9/16/25 8:10		3732'41.3068"N		793'0.5420"W		917.091		1108884.245		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		40.067		100		0		11		13.606		-0.023		-39.95		Yes		9/16/25 8:10		RTK		31		1.16		0.63		0.98		8882		-1340		Yes		RTK		3D		1.4		60		0.759		0.591		0.709		1.923				WME		Water Meter

		UP6143		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6143		9/16/25 8:13		3732'29.4872"N		792'59.2110"W		1203.866		1110088.111		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		6.161		100		0		7		14.142		1.332		62.674		Yes		9/16/25 8:13		RTK		32		1.15		0.63		0.96		9921		-1340		Yes		RTK		3D		1.4		60		1.27		0.85		0.787		3.057				WME		Water Meter

		UP6144		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6144		9/16/25 8:16		3732'30.5635"N		793'0.7979"W		167.986		1110256.097		0		UNKNOWN		37		65536		CLASSIC		OMNI PEAK		140		16.95		100		-55		7		15.748		-0.296		90.173		Yes		9/16/25 8:16		RTK		32		1.14		0.63		0.95		9829		-1340		Yes		RTK		3D		1		60		1.05		0.759		0.551		2.59				WME		Water Meter

		UP6145		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6145		9/16/25 8:17		3732'30.5547"N		793'0.8914"W		7.575		1110263.671		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		21.686		100		0		11		16.385		2.101		6.411		Yes		9/16/25 8:17		RTK		32		1.14		0.63		0.95		9823		-1340		Yes		RTK		3D		1		60		0.759		0.472		0.512		1.787				WME		Water Meter

		UP6146		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6146		9/16/25 8:20		3732'25.2217"N		792'58.9404"W		563.34		1110827.011		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.679		100		2		11		10.755		4.937		-1.753		Yes		9/16/25 8:20		RTK		32		1.13		0.64		0.94		10070		-1340		Yes		RTK		3D		1.4		60		0.472		0.394		0.394		1.23				WME		Water Meter

		UP6147		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6147		9/16/25 8:22		3732'21.4509"N		792'57.1564"W		408.581		1111235.593		0		UNKNOWN		14		65536		CLASSIC		OMNI PEAK		140		23.348		100		-4		8		14.174		1.526		-62.523		Yes		9/16/25 8:22		FLOAT RTK		31		1.27		0.69		1.07		9855		-1340		Yes		FLOAT RTK		3D		1		60		5.89		3.129		0.984		13.339				WME		Water Meter

		UP6148		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6148		9/16/25 8:22		3732'21.6545"N		792'57.1937"W		20.88		1111256.473		0		UNKNOWN		300		65536		CLASSIC		OMNI PEAK		140		13.278		100		-14		7		12.668		-4.631		67.818		Yes		9/16/25 8:22		RTK		31		1.13		0.64		0.93		9841		-1340		Yes		RTK		3D		0.6		60		0.672		0.512		0.472		1.689				WME		Water Meter

		UP6149		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6149		9/16/25 8:25		3732'31.8409"N		792'34.5294"W		2095.672		1113352.145		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		9.849		100		-89		7		14.972		-2.246		86.444		Yes		9/16/25 8:25		RTK		32		1.12		0.64		0.92		10633		-1341		Yes		RTK		3D		0.4		60		0.512		0.354		0.394		1.245				WME		Water Meter

		UP6150		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6150		9/16/25 8:28		3732'41.8935"N		792'10.2692"W		2201.885		1115554.029		0		UNKNOWN		53		65536		CLASSIC		OMNI PEAK		140		17.012		100		0		10		13.112		1.033		61.62		Yes		9/16/25 8:28		RTK		31		1.05		0.6		0.86		10076		-1341		Yes		RTK		3D		1.2		60		0.591		0.551		0.433		1.616				WME		Water Meter

		UP6151		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6151		9/16/25 8:30		3732'42.8721"N		792'9.6630"W		110.607		1115664.637		0		UNKNOWN		52		65536		CLASSIC		OMNI PEAK		140		9.588		100		15		8		13.318		2.135		-5.44		Yes		9/16/25 8:30		FLOAT RTK		31		1.07		0.6		0.88		10078		-1341		Yes		FLOAT RTK		3D		1		60		7.914		5.154		1.26		18.889				WME		Water Meter

		UP6152		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6152		9/16/25 8:33		3732'45.1877"N		792'9.2705"W		237.036		1115901.673		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		3.815		100		1		9		15.243		0.657		-33.634		Yes		9/16/25 8:33		RTK		31		1.11		0.62		0.92		10073		-1341		Yes		RTK		3D		0.6		60		1.05		0.591		0.551		2.409				WME		Water Meter

		UP6153		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6153		9/16/25 8:34		3732'44.2238"N		792'9.7072"W		103.909		1116005.582		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		1.275		100		0		12		11.126		-0.541		2.334		Yes		9/16/25 8:34		RTK		32		1.07		0.63		0.86		10045		-1341		Yes		RTK		3D		1		60		1.388		1.157		0.591		3.615				WME		Water Meter

		UP6154		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6154		9/16/25 8:37		3732'47.9944"N		792'7.3495"W		426.961		1116432.543		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		11.22		100		-4		12		9.969		4.084		76.498		Yes		9/16/25 8:37		RTK		32		1.01		0.58		0.83		10292		-1341		Yes		RTK		3D		0.6		60		0.759		0.551		0.512		1.875				WME		Water Meter

		UP6155		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6155		9/16/25 8:39		3733'8.1481"N		791'54.1243"W		2304.756		1118737.299		0		UNKNOWN		41		65536		CLASSIC		OMNI PEAK		140		100		100		-33		8		16.518		-2.377		12.385		Yes		9/16/25 8:39		RTK		31		1.06		0.59		0.88		9853		-1341		Yes		RTK		3D		1		60		0.759		0.472		0.472		1.787				WME		Water Meter

		UP6156		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6156		9/16/25 8:41		3733'23.6748"N		791'37.3978"W		2071.474		1120808.774		0		UNKNOWN		46		65536		CLASSIC		OMNI PEAK		140		100		100		1		11		14.709		-1.626		14.429		Yes		9/16/25 8:41		RTK		32		1.01		0.57		0.83		9989		-1341		Yes		RTK		3D		0.6		60		0.591		0.512		0.433		1.563				WME		Water Meter

		UP6157		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6157		9/16/25 8:42		3733'22.8044"N		791'38.0697"W		103.533		1120912.307		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		22.267		100		117		7		10.901		3.496		-68.443		Yes		9/16/25 8:42		RTK		32		0.99		0.57		0.81		9999		-1341		Yes		RTK		3D		1.4		60		1.913		1.512		0.827		4.877				WME		Water Meter

		UP6158		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6158		9/16/25 8:44		3733'19.9796"N		791'40.3788"W		341.486		1121253.793		0		UNKNOWN		25		65536		CLASSIC		OMNI PEAK		140		89.582		100		-6		12		13.627		-1.884		-34.193		Yes		9/16/25 8:44		RTK		32		0.99		0.57		0.81		10009		-1341		Yes		RTK		3D		1		60		1.157		0.759		0.591		2.768				WME		Water Meter

		UP6159		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6159		9/16/25 8:44		3733'20.3117"N		791'40.8525"W		50.867		1121304.66		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		38.04		100		19		8		16.026		-0.193		54.815		Yes		9/16/25 8:44		RTK		32		0.99		0.57		0.81		9992		-1341		Yes		RTK		3D		0.8		60		0.672		0.591		0.512		1.789				WME		Water Meter

		UP6160		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6160		9/16/25 8:45		3733'19.6506"N		791'41.4304"W		81.602		1121386.261		0		UNKNOWN		46		65536		CLASSIC		OMNI PEAK		140		91.409		100		1		11		17.267		-1.532		-16.618		Yes		9/16/25 8:45		RTK		32		0.98		0.57		0.8		10019		-1341		Yes		RTK		3D		1		60		0.948		0.759		0.591		2.427				WME		Water Meter

		UP6161		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6161		9/16/25 8:46		3733'18.6106"N		791'42.1311"W		119.615		1121505.877		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		1		12		11.264		-0.664		-77.214		Yes		9/16/25 8:46		RTK		32		0.98		0.57		0.8		10014		-1341		Yes		RTK		3D		1.2		60		1.05		0.591		0.512		2.409				WME		Water Meter

		UP6162		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6162		9/16/25 8:46		3733'18.5268"N		791'42.1698"W		9.047		1121514.924		0		UNKNOWN		63		65536		CLASSIC		OMNI PEAK		140		65.888		100		10		8		10.921		0.818		-43.991		Yes		9/16/25 8:46		RTK		32		0.98		0.57		0.8		10011		-1341		Yes		RTK		3D		1		60		1.27		0.948		0.63		3.17				WME		Water Meter

		UP6163		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6163		9/16/25 8:48		3733'17.2085"N		791'42.7116"W		140.667		1121655.591		0		UNKNOWN		131		65536		CLASSIC		OMNI PEAK		140		84.552		100		30		10		9.286		-1.653		-70.243		Yes		9/16/25 8:48		RTK		31		1.06		0.6		0.88		9930		-1341		Yes		RTK		3D		1		60		0.378		0.335		0.394		1.01				WME		Water Meter

		UP6164		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6164		9/16/25 8:49		3733'15.3680"N		791'42.9761"W		187.932		1121843.522		0		UNKNOWN		49		65536		CLASSIC		OMNI PEAK		140		100		100		0		12		13.481		-8.278		-47.416		Yes		9/16/25 8:49		RTK		31		1.06		0.6		0.88		9952		-1341		Yes		RTK		3D		1.2		60		0.472		0.433		0.394		1.282				WME		Water Meter

		UP6165		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6165		9/16/25 8:51		3733'13.0878"N		791'47.0324"W		399.926		1122243.448		0		UNKNOWN		54		65536		CLASSIC		OMNI PEAK		140		82.969		100		-2		4		13.076		-0.027		-22.815		Yes		9/16/25 8:51		RTK		32		1.06		0.6		0.87		9786		-1341		Yes		RTK		3D		2.2		60		0.472		0.433		0.394		1.282				WME		Water Meter

		UP6166		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6166		9/16/25 8:53		3733'13.9189"N		791'53.7014"W		542.965		1122786.413		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		66.707		100		1		11		9.266		3.678		0.847		Yes		9/16/25 8:53		RTK		32		1.11		0.62		0.93		10008		-1341		Yes		RTK		3D		2.4		60		0.85		0.591		0.512		2.071				WME		Water Meter

		UP6167		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6167		9/16/25 8:53		3733'14.8108"N		791'53.9371"W		92.45		1122878.863		0		UNKNOWN		457		65536		CLASSIC		OMNI PEAK		140		92.444		100		6		9		15.592		1.017		12.642		Yes		9/16/25 8:53		RTK		30		1.11		0.62		0.92		10000		-1341		Yes		RTK		3D		1.2		60		0.85		0.759		0.551		2.279				WME		Water Meter

		UP6168		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6168		9/16/25 8:55		3733'15.7320"N		791'54.0786"W		94.143		1122973.006		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		20.265		100		-3		10		11.439		-0.283		-20.687		Yes		9/16/25 8:55		RTK		32		1.11		0.62		0.92		9932		-1341		Yes		RTK		3D		0.4		60		0.759		0.672		0.591		2.027				WME		Water Meter

		UP6169		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6169		9/16/25 8:56		3733'17.8539"N		791'54.9291"W		225.872		1123198.877		0		UNKNOWN		32		65536		CLASSIC		OMNI PEAK		140		79.093		100		1		10		10.061		0.537		47.197		Yes		9/16/25 8:56		RTK		32		1.11		0.62		0.92		9826		-1341		Yes		RTK		3D		1.4		60		0.591		0.551		0.472		1.616				WME		Water Meter

		UP6170		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6170		9/16/25 8:57		3733'18.9195"N		791'55.3661"W		113.675		1123312.552		0		UNKNOWN		22		65536		CLASSIC		OMNI PEAK		140		53.053		100		-14		6		9.301		1.409		87.786		Yes		9/16/25 8:57		RTK		32		1.32		0.68		1.13		9736		-1341		Yes		RTK		3D		1.2		60		0.512		0.512		0.472		1.448				WME		Water Meter

		UP6171		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6171		9/16/25 8:59		3733'23.3987"N		791'57.0725"W		474.689		1123787.241		0		UNKNOWN		96		65536		CLASSIC		OMNI PEAK		140		42.219		100		31		7		12.009		-1.046		-12.235		Yes		9/16/25 8:59		RTK		31		1.18		0.64		0.99		9723		-1341		Yes		RTK		3D		1		60		0.672		0.591		0.551		1.789				WME		Water Meter

		UP6172		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6172		9/16/25 9:00		3733'25.3031"N		791'57.7995"W		201.856		1123989.097		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		75.542		100		0		13		13.535		2.468		30.544		Yes		9/16/25 9:00		RTK		31		1.18		0.64		0.99		9718		-1341		Yes		RTK		3D		1.2		60		0.472		0.433		0.394		1.282				WME		Water Meter

		UP6173		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6173		9/16/25 9:01		3733'26.6487"N		791'58.3569"W		143.679		1124132.776		0		UNKNOWN		55		65536		CLASSIC		OMNI PEAK		140		94.732		100		1		11		16.475		-1.836		-78.624		Yes		9/16/25 9:01		RTK		32		1.19		0.65		1		9755		-1341		Yes		RTK		3D		1.6		60		0.948		0.759		0.63		2.427				WME		Water Meter

		UP6174		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6174		9/16/25 9:02		3733'35.5121"N		792'2.0324"W		946.541		1125079.317		0		UNKNOWN		23		65536		CLASSIC		OMNI PEAK		140		100		100		-7		10		11.777		1.007		-37.35		Yes		9/16/25 9:02		RTK		32		1.19		0.65		1		9665		-1341		Yes		RTK		3D		1		60		0.551		0.551		0.512		1.559				WME		Water Meter

		UP6175		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6175		9/16/25 9:04		3733'29.8993"N		792'0.1936"W		588.309		1125667.627		0		UNKNOWN		54		65536		CLASSIC		OMNI PEAK		140		100		100		-5		8		10.304		4.981		26.942		Yes		9/16/25 9:04		RTK		31		1.19		0.65		1		9598		-1341		Yes		RTK		3D		1.2		60		1.05		0.512		0.591		2.336				WME		Water Meter

		UP6176		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6176		9/16/25 9:05		3733'29.1173"N		791'59.9025"W		82.72		1125750.347		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		94.827		100		0		12		14.302		3.801		14.468		Yes		9/16/25 9:05		RTK		31		1.19		0.65		1		9665		-1341		Yes		RTK		3D		1		60		0.394		0.394		0.394		1.114				WME		Water Meter

		UP6177		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6177		9/16/25 9:05		3733'28.4915"N		791'59.6941"W		65.663		1125816.01		0		UNKNOWN		47		65536		CLASSIC		OMNI PEAK		140		49.87		100		-3		12		9.314		-0.41		30.75		Yes		9/16/25 9:05		RTK		31		1.19		0.65		1		9703		-1341		Yes		RTK		3D		1		60		0.759		0.551		0.551		1.875				WME		Water Meter

		UP6178		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6178		9/16/25 9:07		3733'26.7609"N		791'59.1230"W		181.472		1125997.482		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		100		100		-1		13		12.29		1.238		-9.182		Yes		9/16/25 9:07		RTK		31		1.19		0.65		0.99		9748		-1341		Yes		RTK		3D		0.4		60		0.512		0.472		0.472		1.393				WME		Water Meter

		UP6179		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6179		9/16/25 9:08		3733'26.0175"N		791'58.7540"W		81.055		1126078.537		0		UNKNOWN		31		65536		CLASSIC		OMNI PEAK		140		63.225		100		5		8		15.067		-2.605		-35.228		Yes		9/16/25 9:08		RTK		31		1.19		0.65		0.99		9712		-1341		Yes		RTK		3D		0.8		60		0.433		0.374		0.394		1.144				WME		Water Meter

		UP6180		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6180		9/16/25 9:10		3733'23.3353"N		791'57.6945"W		285.133		1126363.67		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		95.49		100		1		9		15.195		-1.126		-9.824		Yes		9/16/25 9:10		RTK		30		1.12		0.62		0.93		9734		-1341		Yes		RTK		3D		1		60		0.591		0.512		0.472		1.563				WME		Water Meter

		UP6181		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6181		9/16/25 9:11		3733'21.9537"N		791'57.2035"W		145.622		1126509.292		0		UNKNOWN		36		65536		CLASSIC		OMNI PEAK		140		90.822		100		0		11		15.842		-3.687		50.769		Yes		9/16/25 9:11		RTK		31		1.12		0.62		0.93		9733		-1341		Yes		RTK		3D		1		60		0.472		0.354		0.394		1.181				WME		Water Meter

		UP6182		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6182		9/16/25 9:12		3733'20.2695"N		791'56.6069"W		177.474		1126686.766		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		100		100		0		6		10.346		-1.78		-45.94		Yes		9/16/25 9:12		RTK		30		1.11		0.62		0.93		9721		-1341		Yes		RTK		3D		1.6		60		1.64		1.05		0.787		3.895				WME		Water Meter

		UP6183		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6183		9/16/25 9:13		3733'18.6275"N		791'55.9602"W		174.514		1126861.28		0		UNKNOWN		16		65536		CLASSIC		OMNI PEAK		140		31.408		100		2		8		18.567		-2.303		10.405		Yes		9/16/25 9:13		RTK		30		1.11		0.62		0.93		9784		-1341		Yes		RTK		3D		1.2		60		0.551		0.433		0.472		1.402				WME		Water Meter

		UP6184		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6184		9/16/25 9:14		3733'17.4628"N		791'55.5165"W		123.431		1126984.711		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		24.605		100		0		10		15.767		-1.188		-6.569		Yes		9/16/25 9:14		RTK		29		1.11		0.62		0.92		9896		-1341		Yes		RTK		3D		0.8		60		0.948		0.759		0.551		2.427				WME		Water Meter

		UP6185		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6185		9/16/25 9:15		3733'16.5080"N		791'55.1788"W		100.595		1127085.307		0		UNKNOWN		25		65536		CLASSIC		OMNI PEAK		140		100		100		0		13		19.114		-2.805		44.078		Yes		9/16/25 9:15		RTK		29		1.11		0.62		0.92		9957		-1341		Yes		RTK		3D		1		60		0.591		0.472		0.433		1.513				WME		Water Meter

		UP6186		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6186		9/16/25 9:16		3733'15.6141"N		791'54.8569"W		94.307		1127179.613		0		UNKNOWN		64		65536		CLASSIC		OMNI PEAK		140		56.13		100		23		7		13.095		-2.862		-29.924		Yes		9/16/25 9:16		RTK		29		1.11		0.61		0.92		9994		-1341		Yes		RTK		3D		0.8		60		1.27		0.948		0.63		3.17				WME		Water Meter

		UP6187		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6187		9/16/25 9:17		3733'14.7861"N		791'54.5836"W		86.836		1127266.449		0		UNKNOWN		287		65536		CLASSIC		OMNI PEAK		140		18.739		100		-1		7		12.542		-2.153		21.042		Yes		9/16/25 9:17		RTK		29		1.11		0.61		0.92		10021		-1341		Yes		RTK		3D		0.6		60		0.512		0.472		0.394		1.393				WME		Water Meter

		UP6188		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6188		9/16/25 9:18		3733'13.4972"N		791'54.2572"W		133.365		1127399.814		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		15.623		100		1		6		11.933		2.089		29.444		Yes		9/16/25 9:18		RTK		30		1.1		0.61		0.92		10036		-1341		Yes		RTK		3D		0.4		60		1.913		0.672		0.591		4.056				WME		Water Meter

		UP6189		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6189		9/16/25 9:19		3733'12.5591"N		791'54.0430"W		96.716		1127496.531		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		100		100		2		8		13.927		-0.445		-24.977		Yes		9/16/25 9:19		RTK		31		1.1		0.61		0.92		9996		-1341		Yes		RTK		3D		0.6		60		0.472		0.433		0.394		1.282				WME		Water Meter

		UP6190		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6190		9/16/25 9:24		3733'7.9748"N		791'55.0497"W		472.082		1127968.612		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		100		100		1		9		16.779		-7.113		-26.803		Yes		9/16/25 9:24		RTK		32		1.09		0.61		0.91		9904		-1341		Yes		RTK		3D		1		60		1.512		0.85		0.709		3.469				WME		Water Meter

		UP6191		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6191		9/16/25 9:26		3733'4.3023"N		791'58.7517"W		476.935		1128445.547		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		21.977		100		-2		10		18.016		-2.532		13.133		Yes		9/16/25 9:26		RTK		32		1.09		0.61		0.91		10056		-1341		Yes		RTK		3D		0.6		60		0.512		0.394		0.394		1.291				WME		Water Meter

		UP6192		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6192		9/16/25 9:26		3733'2.6327"N		792'0.0267"W		198.002		1128643.549		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		100		100		3		13		9.53		-0.856		-15.608		Yes		9/16/25 9:26		FLOAT RTK		32		1.09		0.61		0.91		9991		-1341		Yes		FLOAT RTK		3D		0.8		60		4.233		2.945		0.709		10.314				WME		Water Meter

		UP6193		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6193		9/16/25 9:27		3733'1.7393"N		792'1.0217"W		120.91		1128764.459		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		4		11		10.055		-1.351		11.747		Yes		9/16/25 9:27		RTK		32		1.09		0.61		0.9		9990		-1341		Yes		RTK		3D		0.6		60		0.948		0.551		0.551		2.192				WME		Water Meter

		UP6194		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6194		9/16/25 9:28		3733'0.6651"N		792'1.7360"W		123.2		1128887.659		0		UNKNOWN		23		65536		CLASSIC		OMNI PEAK		140		100		100		-3		10		10.915		3.929		-17.346		Yes		9/16/25 9:28		RTK		31		1.09		0.61		0.9		9972		-1341		Yes		RTK		3D		0.4		60		0.759		0.591		0.394		1.923				WME		Water Meter

		UP6195		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6195		9/16/25 9:29		3732'59.6375"N		792'2.5204"W		121.849		1129009.509		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		100		100		13		7		10.955		3.211		-4.335		Yes		9/16/25 9:29		RTK		30		1.18		0.63		0.99		9945		-1341		Yes		RTK		3D		0.4		60		1.157		0.512		0.472		2.531				WME		Water Meter

		UP6196		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6196		9/16/25 9:29		3732'59.3317"N		792'2.7775"W		37.287		1129046.795		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		140		66.129		100		0		12		11.478		-2.61		9.33		Yes		9/16/25 9:29		RTK		31		1.17		0.62		0.99		9950		-1341		Yes		RTK		3D		0.4		60		0.759		0.591		0.512		1.923				WME		Water Meter

		UP6197		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6197		9/16/25 9:31		3732'58.5451"N		792'3.3979"W		94.124		1129140.919		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		86.012		100		0		9		10.135		-3.52		55.213		Yes		9/16/25 9:31		RTK		30		1.16		0.62		0.98		9935		-1341		Yes		RTK		3D		0.4		60		0.759		0.472		0.512		1.787				WME		Water Meter

		UP6198		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6198		9/16/25 9:36		3732'54.3139"N		792'4.8684"W		445.247		1129586.166		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		-9		9		13.416		-0.31		-84.15		Yes		9/16/25 9:36		RTK		30		1.15		0.61		0.97		10091		-1341		Yes		RTK		3D		0.6		60		1.157		0.472		0.472		2.5				WME		Water Meter

		UP6199		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6199		9/16/25 9:38		3732'39.9604"N		792'13.3948"W		1609.592		1131195.758		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		26.872		100		0		13		13.941		2.781		86.642		Yes		9/16/25 9:38		RTK		30		1.27		0.64		1.1		10145		-1341		Yes		RTK		3D		1.2		60		1.774		0.948		0.669		4.023				WME		Water Meter

		UP6200		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6200		9/16/25 9:40		3732'38.1455"N		792'15.4049"W		245.042		1131440.8		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		100		100		-9		10		12.962		1.697		-20.444		Yes		9/16/25 9:40		RTK		29		1.29		0.67		1.11		10315		-1341		Yes		RTK		3D		0.8		60		1.388		0.948		0.709		3.362				WME		Water Meter

		UP6201		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6201		9/16/25 9:40		3732'37.2557"N		792'16.3193"W		116.448		1131557.248		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		32.291		100		11		8		13.686		2.171		-57.981		Yes		9/16/25 9:40		RTK		29		1.27		0.64		1.1		10363		-1341		Yes		RTK		3D		1.4		60		1.388		0.85		0.709		3.256				WME		Water Meter

		UP6202		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6202		9/16/25 9:44		3732'32.4509"N		792'35.4100"W		1611.156		1133168.403		0		UNKNOWN		29		65536		CLASSIC		OMNI PEAK		140		96.91		100		-4		13		12.638		-0.064		-41.294		Yes		9/16/25 9:44		RTK		30		1.19		0.63		1.01		10649		-1341		Yes		RTK		3D		0.8		60		1.05		0.948		0.591		2.828				WME		Water Meter

		UP6203		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6203		9/16/25 9:47		3733'9.7429"N		792'48.2067"W		0		1133168.403		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		100		100		0		12		16.967		-1.579		20.707		Yes		9/16/25 9:47		RTK		31		1.22		0.65		1.03		9006		-1341		Yes		RTK		3D		0.8		60		0.672		0.512		0.433		1.689				WME		Water Meter

		UP6204		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6204		9/16/25 9:50		3733'18.7985"N		793'20.8438"W		2781.055		1135949.459		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		49.57		100		-37		7		14.679		-1.514		19.329		Yes		9/16/25 9:50		FLOAT RTK		31		1.14		0.6		0.97		9653		-1340		Yes		FLOAT RTK		3D		0.6		60		4.417		3.313		0.748		11.043				WME		Water Meter

		UP6205		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6205		9/16/25 9:52		3733'8.6111"N		793'11.5987"W		1273.203		1137222.662		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		47.682		100		-13		5		16.34		2.048		-8.152		Yes		9/16/25 9:52		RTK		31		1.2		0.63		1.02		8861		-1340		Yes		RTK		3D		1.2		60		0.551		0.512		0.433		1.504				WME		Water Meter

		UP6206		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6206		9/16/25 9:53		3733'6.8366"N		793'11.7279"W		180.319		1137402.981		0		UNKNOWN		72		65536		CLASSIC		OMNI PEAK		140		92.888		100		14		8		7.258		-4.536		68.402		Yes		9/16/25 9:54		RTK		31		1.14		0.6		0.97		8841		-1340		Yes		RTK		3D		1.4		60		0.672		0.591		0.472		1.789				WME		Water Meter

		UP6207		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6207		9/16/25 9:54		3733'6.9312"N		793'11.2420"W		40.245		1137443.226		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		31.756		100		0		13		14.226		-0.022		-84.066		Yes		9/16/25 9:54		RTK		31		1.14		0.6		0.97		8844		-1340		Yes		RTK		3D		1		60		1.388		0.512		0.512		2.96				WME		Water Meter

		UP6208		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6208		9/16/25 9:55		3733'11.5800"N		793'10.0615"W		481.078		1137924.303		0		UNKNOWN		68		65536		CLASSIC		OMNI PEAK		140		86.121		100		25		10		12.798		2.8		-36.452		Yes		9/16/25 9:55		FLOAT RTK		32		1.08		0.58		0.92		8790		-1340		Yes		FLOAT RTK		3D		1		60		33.13		27.608		5.118		86.251				WME		Water Meter

		UP6209		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6209		9/16/25 9:57		3733'11.1853"N		792'49.6809"W		1639.677		1139563.98		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		0		11		10.835		0.905		-42.949		Yes		9/16/25 9:57		RTK		30		1.15		0.6		0.98		8968		-1341		Yes		RTK		3D		0.8		60		0.591		0.551		0.472		1.616				WME		Water Meter

		UP6210		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6210		9/16/25 9:59		3733'4.5153"N		792'47.0785"W		708.3		1140272.28		0		UNKNOWN		23		65536		CLASSIC		OMNI PEAK		140		98.708		100		2		10		15.268		-0.82		83.953		Yes		9/16/25 9:59		RTK		31		1.15		0.6		0.98		9275		-1341		Yes		RTK		3D		0.6		60		0.672		0.551		0.472		1.738				WME		Water Meter

		UP6211		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6211		9/16/25 10:00		3733'4.4461"N		792'52.9933"W		475.782		1140748.062		0		UNKNOWN		50		65536		CLASSIC		OMNI PEAK		140		100		100		12		7		27.975		0.084		82.075		Yes		9/16/25 10:00		RTK		31		1.15		0.6		0.98		8878		-1340		Yes		RTK		3D		1		60		0.433		0.394		0.394		1.171				WME		Water Meter

		UP6212		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6212		9/16/25 10:04		3732'36.7735"N		792'40.3161"W		2986.845		1143734.907		0		UNKNOWN		53		65536		CLASSIC		OMNI PEAK		140		75.725		100		29		6		10.713		-3.011		-35.737		Yes		9/16/25 10:04		RTK		31		1.15		0.6		0.98		10312		-1341		Yes		RTK		3D		0.6		60		0.433		0.394		0.394		1.171				WME		Water Meter

		UP6213		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6213		9/16/25 10:05		3732'37.8439"N		792'44.8228"W		378.43		1144113.337		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		57.117		100		-2		10		12.734		-1.122		-73.093		Yes		9/16/25 10:05		RTK		31		1.22		0.63		1.04		10127		-1341		Yes		RTK		3D		0.4		60		0.759		0.551		0.472		1.875				WME		Water Meter

		UP6214		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6214		9/16/25 10:08		3732'46.9603"N		792'55.5031"W		1262.307		1145375.645		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		100		100		4		9		13.646		-0.257		-4.449		Yes		9/16/25 10:08		RTK		30		1.15		0.6		0.98		9552		-1340		Yes		RTK		3D		0.8		60		0.672		0.591		0.472		1.789				WME		Water Meter

		UP6215		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6215		9/16/25 10:09		3732'46.7850"N		792'50.1724"W		429.155		1145804.799		0		UNKNOWN		529		65536		CLASSIC		OMNI PEAK		140		86.429		100		3		11		10.327		-0.081		-20.161		Yes		9/16/25 10:09		RTK		30		1.16		0.62		0.98		9653		-1341		Yes		RTK		3D		1		60		0.85		0.472		0.472		1.946				WME		Water Meter

		UP6216		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6216		9/16/25 10:10		3732'47.4265"N		792'52.5433"W		201.508		1146006.307		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		100		100		1		9		11.757		-0.939		30.644		Yes		9/16/25 10:10		RTK		29		1.15		0.6		0.98		9662		-1340		Yes		RTK		3D		0.8		60		0.759		0.472		0.472		1.787				WME		Water Meter

		UP6217		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6217		9/16/25 10:12		3732'47.2900"N		792'58.6342"W		490.119		1146496.426		0		UNKNOWN		37		65536		CLASSIC		OMNI PEAK		140		100		100		3		5		11.895		-6.039		72.135		Yes		9/16/25 10:12		RTK		30		1.17		0.62		0.99		9365		-1340		Yes		RTK		3D		0.6		60		0.591		0.551		0.433		1.616				WME		Water Meter

		UP6218		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6218		9/16/25 10:15		3732'46.8676"N		793'0.2060"W		133.494		1146629.921		0		UNKNOWN		16		65536		CLASSIC		OMNI PEAK		140		100		100		-26		6		16.727		-4.417		31.008		Yes		9/16/25 10:15		RTK		31		1.17		0.62		0.99		9266		-1340		Yes		RTK		3D		0.8		60		0.85		0.472		0.512		1.946				WME		Water Meter

		UP6219		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6219		9/16/25 10:16		3732'49.8313"N		793'3.3441"W		392.576		1147022.496		0		UNKNOWN		41		65536		CLASSIC		OMNI PEAK		140		100		100		-2		10		13.12		-1.402		69.378		Yes		9/16/25 10:16		RTK		31		1.21		0.63		1.03		9007		-1340		Yes		RTK		3D		0.6		60		0.591		0.512		0.433		1.563				WME		Water Meter

		UP6220		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6220		9/16/25 10:17		3732'48.5389"N		793'3.2900"W		131.186		1147153.682		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		47.757		100		15		7		12.473		-0.523		-47.159		Yes		9/16/25 10:17		RTK		31		1.21		0.64		1.03		9014		-1340		Yes		RTK		3D		0.6		60		0.759		0.551		0.472		1.875				WME		Water Meter

		UP6221		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6221		9/16/25 10:19		3732'45.2219"N		793'5.0277"W		364.386		1147518.069		0		UNKNOWN		14		65536		CLASSIC		OMNI PEAK		140		100		100		-3		12		14.946		-3.026		-10.785		Yes		9/16/25 10:19		RTK		31		1.21		0.64		1.03		8805		-1340		Yes		RTK		3D		1		60		1.157		0.512		0.472		2.531				WME		Water Meter

		UP6222		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6222		9/16/25 10:46		3727'26.1270"N		794'56.7946"W		0		1147518.069		0		UNKNOWN		15		65536		CLASSIC		OMNI PEAK		140		100		100		-2		11		12.911		0.989		45.517		Yes		9/16/25 10:46		RTK		30		0.96		0.56		0.78		10007		-1340		Yes		RTK		3D		1		60		0.472		0.37		0.394		1.2				WME		Water Meter

		UP6223		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6223		9/16/25 11:26		3728'8.6043"N		794'2.6738"W		0		1147518.069		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		37.599		100		1		13		13.835		-1.884		0.379		Yes		9/16/25 11:26		RTK		32		1.02		0.57		0.85		8288		-1340		Yes		RTK		3D		0.6		60		1.157		0.85		0.63		2.873				WME		Water Meter

		UP6224		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6224		9/16/25 11:27		3728'9.4400"N		794'1.7471"W		112.935		1147631.003		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		65.798		100		-37		11		11.12		-2.08		25.202		Yes		9/16/25 11:27		RTK		32		0.98		0.55		0.81		8418		-1340		Yes		RTK		3D		1.4		60		0.948		0.85		0.551		2.546				WME		Water Meter

		UP6225		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6225		9/16/25 11:30		3728'13.0539"N		793'54.1551"W		712.816		1148343.82		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		-7		9		12.263		-0.749		28.302		Yes		9/16/25 11:30		RTK		32		0.98		0.54		0.82		8956		-1340		Yes		RTK		3D		1.4		60		1.64		1.27		0.63		4.15				WME		Water Meter

		UP6226		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6226		9/16/25 11:31		3728'13.5109"N		793'53.1680"W		92.011		1148435.831		0		UNKNOWN		16		65536		CLASSIC		OMNI PEAK		140		100		100		5		6		12.265		0.904		-42.848		Yes		9/16/25 11:31		RTK		32		0.98		0.54		0.82		9028		-1340		Yes		RTK		3D		0.8		60		0.672		0.591		0.472		1.789				WME		Water Meter

		UP6227		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6227		9/16/25 11:34		3728'19.6505"N		793'46.0076"W		848.739		1149284.569		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		27.786		100		11		10		11.774		-2.488		-1.934		Yes		9/16/25 11:34		RTK		32		1.01		0.56		0.84		9276		-1340		Yes		RTK		3D		1.2		60		0.512		0.433		0.394		1.341				WME		Water Meter

		UP6228		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6228		9/16/25 11:37		3728'23.4227"N		793'44.7754"W		395.333		1149679.902		0		UNKNOWN		289		65536		CLASSIC		OMNI PEAK		140		54.371		100		3		9		14.596		-1.078		23.517		Yes		9/16/25 11:37		RTK		32		1.01		0.56		0.84		9426		-1340		Yes		RTK		3D		0.6		60		1.512		0.672		0.591		3.309				WME		Water Meter

		UP6229		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6229		9/16/25 11:39		3728'24.6492"N		793'44.0220"W		138.425		1149818.328		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		100		-1		13		14.378		0.68		-54.312		Yes		9/16/25 11:39		FLOAT RTK		32		1.01		0.56		0.84		9507		-1340		Yes		FLOAT RTK		3D		1.6		60		3.497		2.761		0.591		8.911				WME		Water Meter

		UP6230		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6230		9/16/25 11:40		3728'25.8749"N		793'44.0460"W		124.363		1149942.69		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		100		100		11		11		12.516		0.15		-56.463		Yes		9/16/25 11:40		RTK		32		1.01		0.56		0.85		9590		-1340		Yes		RTK		3D		1		60		0.433		0.343		0.394		1.104				WME		Water Meter

		UP6231		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6231		9/16/25 11:41		3728'27.2090"N		793'44.0998"W		135.42		1150078.11		0		UNKNOWN		89		65536		CLASSIC		OMNI PEAK		140		40.222		100		4		9		15.616		-1.318		-66.146		Yes		9/16/25 11:41		RTK		32		0.98		0.54		0.81		9647		-1340		Yes		RTK		3D		1.2		60		1.64		1.27		0.709		4.15				WME		Water Meter

		UP6232		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6232		9/16/25 11:41		3728'27.9040"N		793'44.2442"W		71.46		1150149.571		0		UNKNOWN		30		65536		CLASSIC		OMNI PEAK		140		57.831		100		-2		12		15.278		0.434		-47.151		Yes		9/16/25 11:41		RTK		32		1.01		0.57		0.84		9636		-1340		Yes		RTK		3D		1.2		60		0.85		0.591		0.512		2.071				WME		Water Meter

		UP6233		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6233		9/16/25 11:48		3728'33.1902"N		793'43.6561"W		538.367		1150687.937		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		61.899		100		0		12		9.68		-5.53		-21.936		Yes		9/16/25 11:48		RTK		32		1.09		0.6		0.91		9579		-1340		Yes		RTK		3D		1.2		60		0.672		0.591		0.472		1.789				WME		Water Meter

		UP6234		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6234		9/16/25 11:50		3728'44.3113"N		793'37.9475"W		1218.267		1151906.204		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		100		100		-2		7		10.149		-2.686		-29.981		Yes		9/16/25 11:50		RTK		32		1.05		0.58		0.87		10026		-1340		Yes		RTK		3D		2.2		60		0.672		0.551		0.472		1.738				WME		Water Meter

		UP6235		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6235		9/16/25 11:51		3728'48.1470"N		793'35.3671"W		441.118		1152347.323		0		UNKNOWN		139		65536		CLASSIC		OMNI PEAK		140		99.608		100		1		10		16.176		-0.652		36.211		Yes		9/16/25 11:51		RTK		32		1.08		0.6		0.9		10051		-1340		Yes		RTK		3D		0.6		60		1.157		0.672		0.591		2.677				WME		Water Meter

		UP6236		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6236		9/16/25 11:52		3728'50.1257"N		793'33.1224"W		270.095		1152617.418		0		UNKNOWN		64		65536		CLASSIC		OMNI PEAK		140		53.863		100		-3		7		12.537		-4.483		-4.912		Yes		9/16/25 11:52		RTK		32		1.04		0.58		0.87		10134		-1340		Yes		RTK		3D		1.4		60		0.551		0.433		0.394		1.402				WME		Water Meter

		UP6237		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6237		9/16/25 11:53		3728'50.9358"N		793'32.3141"W		104.829		1152722.247		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		9.911		100		-1		13		14.735		2.287		4.104		Yes		9/16/25 11:53		RTK		32		1.02		0.55		0.85		10150		-1340		Yes		RTK		3D		0.6		60		0.759		0.512		0.472		1.83				WME		Water Meter

		UP6238		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6238		9/16/25 11:54		3728'54.4387"N		793'30.6223"W		380.575		1153102.822		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		16.184		100		-2		10		15.595		-2.003		-28.423		Yes		9/16/25 11:54		RTK		32		1.02		0.55		0.86		10056		-1340		Yes		RTK		3D		1.4		60		0.512		0.472		0.433		1.393				WME		Water Meter

		UP6239		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6239		9/16/25 11:55		3728'53.3193"N		793'30.8780"W		115.415		1153218.237		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		63.828		100		8		9		9.797		2.403		-11.578		Yes		9/16/25 11:55		RTK		32		1.02		0.55		0.86		10060		-1340		Yes		RTK		3D		0.8		60		1.388		0.948		0.669		3.362				WME		Water Meter

		UP6240		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6240		9/16/25 11:57		3728'56.7049"N		793'29.8890"W		352.579		1153570.817		0		UNKNOWN		19		65536		CLASSIC		OMNI PEAK		140		100		100		1		7		10.031		-3.463		-30.342		Yes		9/16/25 11:57		RTK		31		1.04		0.58		0.86		10133		-1340		Yes		RTK		3D		0.6		60		1.64		0.591		0.63		3.487				WME		Water Meter

		UP6241		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6241		9/16/25 12:00		3728'59.5765"N		793'29.0239"W		299.536		1153870.353		0		UNKNOWN		10		65536		CLASSIC		OMNI PEAK		140		100		100		1		11		16.098		-0.772		-71.812		Yes		9/16/25 12:00		RTK		32		1.07		0.56		0.92		10221		-1340		Yes		RTK		3D		1		60		0.85		0.591		0.551		2.071				WME		Water Meter

		UP6242		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6242		9/16/25 12:00		3728'59.5538"N		793'29.0340"W		2.438		1153872.791		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		37.552		100		-7		9		12.641		1.921		80.028		Yes		9/16/25 12:00		RTK		32		1.05		0.56		0.88		10219		-1340		Yes		RTK		3D		1.2		60		1.157		0.672		0.63		2.677				WME		Water Meter

		UP6243		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6243		9/16/25 12:01		3729'1.4349"N		793'28.4788"W		195.994		1154068.785		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		100		100		1		13		14.506		-0.398		55.233		Yes		9/16/25 12:01		RTK		32		1.01		0.55		0.85		10212		-1340		Yes		RTK		3D		0.6		60		0.759		0.551		0.551		1.875				WME		Water Meter

		UP6244		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6244		9/16/25 12:07		3728'55.4108"N		793'17.9392"W		1045.674		1155114.459		0		UNKNOWN		174		65536		CLASSIC		OMNI PEAK		140		68.095		100		-16		7		15.056		0.412		60.502		Yes		9/16/25 12:07		RTK		32		1		0.55		0.84		10093		-1340		Yes		RTK		3D		1.4		60		0.433		0.354		0.394		1.119				WME		Water Meter

		UP6245		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6245		9/16/25 12:09		3728'54.3477"N		793'16.8523"W		138.876		1155253.335		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		100		100		0		7		12.003		-1.672		-70.955		Yes		9/16/25 12:09		RTK		32		0.98		0.52		0.83		10070		-1340		Yes		RTK		3D		1.6		60		0.394		0.331		0.394		1.028				WME		Water Meter

		UP6246		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6246		9/16/25 12:11		3728'54.3058"N		793'16.8265"W		4.736		1155258.072		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		100		100		0		11		12.465		-0.907		31.519		Yes		9/16/25 12:11		RTK		32		1.01		0.56		0.84		10072		-1340		Yes		RTK		3D		1		60		0.472		0.382		0.394		1.215				WME		Water Meter

		UP6247		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6247		9/16/25 12:11		3728'54.2889"N		793'16.8139"W		1.985		1155260.057		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		100		100		0		13		17.043		-0.393		0.964		Yes		9/16/25 12:11		RTK		32		1.01		0.56		0.84		10070		-1340		Yes		RTK		3D		1.8		60		0.433		0.303		0.394		1.057				WME		Water Meter

		UP6248		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6248		9/16/25 12:13		3728'47.1472"N		793'9.0813"W		955.243		1156215.3		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		39.54		100		-8		10		13.215		-1.797		-82.95		Yes		9/16/25 12:13		RTK		32		1.08		0.57		0.92		9972		-1340		Yes		RTK		3D		1.2		60		3.215		1.05		0.827		6.765				WME		Water Meter

		UP6249		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6249		9/16/25 12:27		3728'40.3620"N		793'2.1748"W		884.886		1157100.186		0		UNKNOWN		33		65536		CLASSIC		OMNI PEAK		140		86.695		100		-4		11		13.917		2.225		16.625		Yes		9/16/25 12:27		RTK		32		1.15		0.59		0.99		9907		-1340		Yes		RTK		3D		0.6		60		0.472		0.374		0.394		1.205				WME		Water Meter

		UP6250		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6250		9/16/25 12:33		3728'40.5842"N		792'43.6162"W		1494.321		1158594.507		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		10.491		100		14		10		18.479		-3.62		-70.05		Yes		9/16/25 12:33		RTK		32		1.24		0.65		1.06		9862		-1340		Yes		RTK		3D		0.8		60		0.759		0.472		0.63		1.787				WME		Water Meter

		UP6251		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6251		9/16/25 13:05		3729'3.7743"N		793'27.5293"W		0		1158594.507		0		UNKNOWN		17		65536		CLASSIC		OMNI PEAK		140		24.594		100		0		8		15.441		-0.631		20.497		Yes		9/16/25 13:05		RTK		32		1.01		0.5		0.88		10148		-1340		Yes		RTK		3D		1		652		1.157		0.759		0.748		2.768				WME		Water Meter

		UP6252		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6252		9/16/25 13:07		3729'5.9799"N		793'27.2319"W		225.035		1158819.542		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		52.728		100		-9		10		13.007		1.677		35.349		Yes		9/16/25 13:07		RTK		32		0.99		0.5		0.86		10044		-1340		Yes		RTK		3D		0.6		652		0.472		0.343		0.394		1.167				WME		Water Meter

		UP6253		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6253		9/16/25 13:07		3729'6.8910"N		793'26.8948"W		96.334		1158915.876		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		4.793		100		52		7		16.382		-1.981		-80.045		Yes		9/16/25 13:07		RTK		31		1.04		0.53		0.9		10044		-1340		Yes		RTK		3D		0.6		652		0.759		0.591		0.591		1.923				WME		Water Meter

		UP6254		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6254		9/16/25 13:09		3729'9.0732"N		793'25.8693"W		236.274		1159152.15		0		UNKNOWN		18		65536		CLASSIC		OMNI PEAK		140		32.688		100		-20		8		13.973		-2.021		58.856		Yes		9/16/25 13:09		RTK		32		1.05		0.52		0.91		10105		-1340		Yes		RTK		3D		1		652		1.388		0.85		0.827		3.256				WME		Water Meter

		UP6255		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6255		9/17/25 7:50		3730'36.5124"N		794'47.2757"W		0		1159152.15		0		UNKNOWN		10		65536		CLASSIC		OMNI PEAK		132		33.232		100		-9		12		17.292		2.028		-75.508		Yes		9/17/25 7:50		FLOAT RTK		24		1.23		0.66		1.04		11358		-1340		Yes		FLOAT RTK		3D		0.6		1159		42.333		31.289		5.906		105.282				WME		Water Meter

		UP6256		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6256		9/17/25 7:50		3730'36.4812"N		794'47.2419"W		4.173		1159156.323		0		UNKNOWN		154		65536		CLASSIC		OMNI PEAK		132		20.843		100		73		6		17.92		-0.201		52.486		Yes		9/17/25 7:50		FLOAT RTK		24		1.16		0.65		0.97		11366		-1340		Yes		FLOAT RTK		3D		1.4		1159		36.811		25.768		4.724		89.867				WME		Water Meter

		UP6257		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6257		9/17/25 8:21		3729'55.6624"N		793'39.5948"W		0		1159156.323		0		UNKNOWN		59		65536		CLASSIC		OMNI PEAK		132		23.904		100		11		5		13.671		-2.201		27.748		Yes		9/17/25 8:21		FLOAT RTK		27		1.18		0.63		0.99		10315		-1340		Yes		FLOAT RTK		3D		0.4		1176		4.049		3.497		0.591		10.701				WME		Water Meter

		UP6258		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6258		9/17/25 8:30		3729'48.4295"N		793'40.1106"W		734.956		1159891.279		0		UNKNOWN		115		65536		CLASSIC		OMNI PEAK		132		13.02		100		0		14		11.475		-2.535		-10.409		Yes		9/17/25 8:30		RTK		28		1.05		0.6		0.86		10108		-1340		Yes		RTK		3D		0.8		1176		1.774		1.27		0.787		4.364				WME		Water Meter

		UP6259		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6259		9/17/25 8:43		3729'29.7779"N		793'24.4108"W		2275.39		1162166.669		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		132		43.112		100		0		6		12.371		1.091		25.871		Yes		9/17/25 8:43		RTK		32		1.02		0.59		0.83		9936		-1340		Yes		RTK		3D		1.2		1176		1.388		1.05		0.709		3.481				WME		Water Meter

		UP6260		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6260		9/17/25 8:54		3728'36.1221"N		792'6.2502"W		0		1162166.669		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		8.997		100		8		9		15.141		-0.583		3.231		Yes		9/17/25 8:54		RTK		30		1.11		0.64		0.91		9629		-1341		Yes		RTK		3D		0.6		1176		0.85		0.759		0.591		2.279				WME		Water Meter

		UP6261		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6261		9/17/25 8:56		3728'36.0614"N		791'55.2166"W		888.352		1163055.021		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		15.421		100		-11		10		13.237		2.277		20.11		Yes		9/17/25 8:56		RTK		29		1.11		0.64		0.91		9620		-1341		Yes		RTK		3D		1.2		1176		0.591		0.472		0.512		1.513				WME		Water Meter

		UP6262		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6262		9/17/25 9:05		3728'7.1726"N		794'5.7332"W		0		1163055.021		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		132		52.792		100		2		9		12.91		3.166		4.053		Yes		9/17/25 9:05		RTK		30		1.12		0.64		0.91		7931		-1340		Yes		RTK		3D		1.2		1176		0.672		0.512		0.512		1.689				WME		Water Meter

		UP6263		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6263		9/17/25 9:09		3728'24.3287"N		794'28.3843"W		2521.02		1165576.041		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		132		80.334		100		1		12		14.487		-4.896		2.45		Yes		9/17/25 9:09		RTK		28		1.19		0.67		0.99		8750		-1340		Yes		RTK		3D		0.8		1176		0.759		0.591		0.63		1.923				WME		Water Meter

		UP6264		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6264		9/17/25 9:10		3728'18.8942"N		794'41.5092"W		1191.932		1166767.973		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		132		85.486		100		4		8		12.812		2.035		-48.003		Yes		9/17/25 9:10		RTK		27		1.19		0.67		0.99		9380		-1340		Yes		RTK		3D		1		1176		1.157		0.759		0.748		2.768				WME		Water Meter

		UP6265		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6265		9/17/25 9:12		3728'21.3420"N		795'0.6615"W		1561.933		1168329.906		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		132		60.237		100		0		12		14.718		-3.818		-21.841		Yes		9/17/25 9:12		FLOAT RTK		27		1.19		0.67		0.98		9193		-1340		Yes		FLOAT RTK		3D		0.6		1176		42.333		29.449		6.299		103.137				WME		Water Meter

		UP6266		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6266		9/17/25 9:19		3728'13.6074"N		796'36.7840"W		0		1168329.906		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		132		62.822		100		-3		12		13.917		-1.246		12.396		Yes		9/17/25 9:19		RTK		28		1.18		0.67		0.97		9707		-1339		Yes		RTK		3D		0.8		1176		1.157		0.759		0.669		2.768				WME		Water Meter

		UP6267		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6267		9/17/25 9:22		3728'10.2812"N		796'24.7667"W		1024.765		1169354.671		0		UNKNOWN		114		65536		CLASSIC		OMNI PEAK		132		43.259		100		2		10		17.627		-1.337		50.01		Yes		9/17/25 9:22		RTK		29		1.11		0.64		0.91		9638		-1339		Yes		RTK		3D		2.2		1176		0.394		0.331		0.394		1.028				WME		Water Meter

		UP6268		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6268		9/17/25 9:33		3728'13.9522"N		796'29.7829"W		549.392		1169904.063		0		UNKNOWN		29		65536		CLASSIC		OMNI PEAK		132		29.304		100		-26		10		14.529		1.042		-50.646		Yes		9/17/25 9:33		RTK		29		1.29		0.69		1.08		9776		-1339		Yes		RTK		3D		0.6		1176		0.472		0.382		0.394		1.215				WME		Water Meter

		UP6269		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6269		9/17/25 9:35		3728'17.5462"N		796'36.7183"W		666.909		1170570.973		0		UNKNOWN		21		65536		CLASSIC		OMNI PEAK		132		22.337		100		1		9		16.552		-0.49		14.344		Yes		9/17/25 9:35		RTK		29		1.29		0.69		1.09		9955		-1339		Yes		RTK		3D		1		1176		0.551		0.39		0.394		1.35				WME		Water Meter

		UP6270		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6270		9/17/25 9:38		3728'7.1084"N		796'47.0521"W		1346.708		1171917.681		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		132		100		100		0		12		15.558		0.26		-86.592		Yes		9/17/25 9:38		FLOAT RTK		29		1.27		0.66		1.09		9940		-1339		Yes		FLOAT RTK		3D		0.6		1176		11.043		5.154		1.378		24.373				WME		Water Meter

		UP6271		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6271		9/17/25 9:39		3728'5.2738"N		796'47.9125"W		198.592		1172116.273		0		UNKNOWN		22		65536		CLASSIC		OMNI PEAK		132		36.935		100		13		11		20.203		-0.997		-31.486		Yes		9/17/25 9:39		RTK		29		1.28		0.66		1.09		9947		-1339		Yes		RTK		3D		0.6		1176		0.551		0.551		0.394		1.559				WME		Water Meter

		UP6272		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6272		9/17/25 9:42		3728'0.3605"N		796'56.2691"W		837.395		1172953.668		0		UNKNOWN		60		65536		CLASSIC		OMNI PEAK		132		22.479		100		-5		12		14.289		1.11		10.56		Yes		9/17/25 9:42		RTK		28		1.28		0.66		1.1		10357		-1339		Yes		RTK		3D		0.6		1176		0.672		0.551		0.433		1.738				WME		Water Meter

		UP6273		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6273		9/17/25 9:44		3728'0.3494"N		796'56.3828"W		9.222		1172962.89		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		5.006		100		40		8		15.107		0.525		-42.654		Yes		9/17/25 9:44		RTK		29		1.28		0.66		1.1		10359		-1339		Yes		RTK		3D		0.6		1176		0.472		0.433		0.394		1.282				WME		Water Meter

		UP6274		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6274		9/17/25 9:48		3728'0.6594"N		796'55.4712"W		79.849		1173042.739		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		132		64.863		100		-23		5		11.09		0.955		39.07		Yes		9/17/25 9:48		RTK		29		1.37		0.71		1.17		10368		-1339		Yes		RTK		3D		1.4		1176		1.27		0.948		0.551		3.17				WME		Water Meter

		UP6275		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6275		9/17/25 9:54		3728'4.6144"N		796'56.8701"W		416.746		1173459.485		0		UNKNOWN		25		65536		CLASSIC		OMNI PEAK		132		31.522		100		-1		8		12.915		-2.918		55.138		Yes		9/17/25 9:55		RTK		28		1.3		0.67		1.11		10334		-1339		Yes		RTK		3D		1.4		1176		1.157		1.05		0.591		3.125				WME		Water Meter

		UP6276		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6276		9/17/25 9:56		3728'3.3722"N		796'56.2060"W		136.894		1173596.379		0		UNKNOWN		71		65536		CLASSIC		OMNI PEAK		132		41.091		100		13		7		11.054		-3.442		41.763		Yes		9/17/25 9:56		RTK		28		1.3		0.67		1.11		10344		-1339		Yes		RTK		3D		1		1176		0.672		0.591		0.472		1.789				WME		Water Meter

		UP6277		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6277		9/17/25 10:14		3728'6.8924"N		796'58.1447"W		389.749		1173986.127		0		UNKNOWN		19		65536		CLASSIC		OMNI PEAK		132		60.544		100		0		13		12.241		2.334		-63.809		Yes		9/17/25 10:14		RTK		29		1.23		0.65		1.04		10339		-1339		Yes		RTK		3D		1.4		1176		1.27		0.85		0.591		3.057				WME		Water Meter

		UP6278		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6278		9/17/25 10:14		3728'6.8761"N		796'58.1358"W		1.8		1173987.928		0		UNKNOWN		45		65536		CLASSIC		OMNI PEAK		132		39.064		100		1		8		12.231		-1.569		-87		Yes		9/17/25 10:14		RTK		31		1.06		0.59		0.88		10339		-1339		Yes		RTK		3D		0.6		1176		0.759		0.591		0.472		1.923				WME		Water Meter

		UP6279		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6279		9/17/25 10:14		3728'6.8559"N		796'58.1245"W		2.244		1173990.171		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		20.701		100		0		4		8.528		5.075		-32.904		Yes		9/17/25 10:14		RTK		31		1.06		0.59		0.88		10338		-1339		Yes		RTK		3D		0.8		1176		1.512		1.05		0.63		3.681				WME		Water Meter

		UP6280		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6280		9/17/25 10:15		3728'6.7178"N		796'58.0464"W		15.354		1174005.525		0		UNKNOWN		16		65536		CLASSIC		OMNI PEAK		132		60.331		100		9		10		4.379		-0.381		-28.468		Yes		9/17/25 10:15		RTK		31		1.06		0.59		0.88		10337		-1339		Yes		RTK		3D		0.8		1176		2.058		1.913		0.787		5.62				WME		Water Meter

		UP6281		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6281		9/17/25 10:15		3728'6.7021"N		796'58.0365"W		1.782		1174007.307		0		UNKNOWN		265		65536		CLASSIC		OMNI PEAK		132		40.538		100		2		12		7.489		-2.1		-32.524		Yes		9/17/25 10:15		RTK		31		1.23		0.65		1.04		10338		-1339		Yes		RTK		3D		0.6		1176		2.058		1.64		0.787		5.263				WME		Water Meter

		UP6282		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6282		9/17/25 10:15		3728'6.4129"N		796'57.8845"W		31.79		1174039.097		0		UNKNOWN		63		65536		CLASSIC		OMNI PEAK		132		53.923		100		14		7		11.276		-1.928		-71.953		Yes		9/17/25 10:15		RTK		31		1.06		0.59		0.88		10331		-1339		Yes		RTK		3D		1.2		1176		0.759		0.591		0.472		1.923				WME		Water Meter

		UP6283		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6283		9/17/25 10:15		3728'6.3966"N		796'57.8755"W		1.809		1174040.906		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		11.733		100		2		6		9.337		3.917		12.212		Yes		9/17/25 10:15		RTK		31		1.06		0.59		0.88		10331		-1339		Yes		RTK		3D		1.6		1176		0.85		0.591		0.472		2.071				WME		Water Meter

		UP6284		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6284		9/17/25 10:16		3728'5.7592"N		796'57.5370"W		70.167		1174111.074		0		UNKNOWN		40		65536		CLASSIC		OMNI PEAK		132		48.409		100		4		12		12.964		-1.1		12.4		Yes		9/17/25 10:16		RTK		31		1.06		0.59		0.88		10330		-1339		Yes		RTK		3D		0.8		1176		0.672		0.551		0.433		1.738				WME		Water Meter

		UP6285		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6285		9/17/25 10:16		3728'5.7422"N		796'57.5254"W		1.964		1174113.037		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		14.989		100		-24		10		11.63		0.499		3.171		Yes		9/17/25 10:16		RTK		31		1.06		0.59		0.88		10329		-1339		Yes		RTK		3D		4.6		1176		0.551		0.512		0.433		1.504				WME		Water Meter

		UP6286		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6286		9/17/25 10:16		3728'5.3962"N		796'57.3352"W		38.294		1174151.331		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		7.832		100		6		9		8.745		3.158		14.582		Yes		9/17/25 10:16		RTK		31		1.22		0.65		1.04		10334		-1339		Yes		RTK		3D		1		1176		0.551		0.551		0.433		1.559				WME		Water Meter

		UP6287		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6287		9/17/25 10:16		3728'5.3704"N		796'57.3167"W		3.017		1174154.348		0		UNKNOWN		25		65536		CLASSIC		OMNI PEAK		132		53.819		100		3		8		12.278		1.578		28.521		Yes		9/17/25 10:16		RTK		31		1.22		0.65		1.04		10334		-1339		Yes		RTK		3D		1.8		1176		0.672		0.472		0.433		1.643				WME		Water Meter

		UP6288		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6288		9/17/25 10:16		3728'5.3447"N		796'57.3028"W		2.84		1174157.188		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		9.696		100		3		9		11.843		-2.278		-20.913		Yes		9/17/25 10:16		RTK		30		1.22		0.65		1.04		10335		-1339		Yes		RTK		3D		1.6		1176		0.759		0.591		0.472		1.923				WME		Water Meter

		UP6289		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6289		9/17/25 10:17		3728'4.6308"N		796'56.8804"W		80.011		1174237.199		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		4.429		100		46		9		12.724		-0.562		85.081		Yes		9/17/25 10:17		RTK		31		1.06		0.59		0.88		10338		-1339		Yes		RTK		3D		1.8		1176		0.948		0.591		0.512		2.233				WME		Water Meter

		UP6290		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6290		9/17/25 10:18		3728'4.6108"N		796'56.8724"W		2.13		1174239.329		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		3.224		100		-12		8		9.621		2.283		63.092		Yes		9/17/25 10:18		RTK		31		1.06		0.59		0.88		10337		-1339		Yes		RTK		3D		1.2		1176		0.759		0.512		0.433		1.83				WME		Water Meter

		UP6291		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6291		9/17/25 10:27		3728'0.3221"N		797'2.8722"W		650.152		1174889.481		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		21.214		100		-17		10		9.941		2.491		30.419		Yes		9/17/25 10:27		RTK		31		0.97		0.57		0.79		10322		-1339		Yes		RTK		3D		1		1176		0.85		0.759		0.512		2.279				WME		Water Meter

		UP6292		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6292		9/17/25 10:30		3728'2.4927"N		797'8.4174"W		497.863		1175387.344		0		UNKNOWN		155		65536		CLASSIC		OMNI PEAK		132		76.12		100		-4		7		11.333		3.867		86.233		Yes		9/17/25 10:30		RTK		30		0.97		0.57		0.78		10331		-1339		Yes		RTK		3D		0.8		1176		0.394		0.339		0.394		1.039				WME		Water Meter

		UP6293		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6293		9/17/25 10:31		3728'1.0954"N		797'8.2248"W		142.601		1175529.945		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		132		74.8		100		52		5		11.438		-4.83		-37.079		Yes		9/17/25 10:31		RTK		31		0.96		0.57		0.78		10261		-1339		Yes		RTK		3D		1.2		1176		0.386		0.358		0.394		1.053				WME		Water Meter

		UP6294		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6294		9/17/25 10:39		3728'6.0179"N		797'9.1916"W		505.412		1176035.357		0		UNKNOWN		46		65536		CLASSIC		OMNI PEAK		132		21.309		100		20		7		11.972		-2.136		-78.364		Yes		9/17/25 10:39		RTK		30		1.06		0.61		0.87		10505		-1339		Yes		RTK		3D		1.2		1176		2.207		1.157		0.827		4.985				WME		Water Meter

		UP6295		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6295		9/17/25 10:39		3728'6.0625"N		797'9.1545"W		5.424		1176040.78		0		UNKNOWN		65		65536		CLASSIC		OMNI PEAK		132		16.337		100		0		12		10.906		0.554		-25.646		Yes		9/17/25 10:39		RTK		31		1.06		0.61		0.87		10497		-1339		Yes		RTK		3D		0.4		1176		0.472		0.394		0.394		1.23				WME		Water Meter

		UP6296		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6296		9/17/25 10:39		3728'6.0745"N		797'9.1585"W		1.258		1176042.039		0		UNKNOWN		15		65536		CLASSIC		OMNI PEAK		132		57.153		100		0		10		13.74		-0.369		-42.418		Yes		9/17/25 10:39		RTK		31		1.06		0.61		0.87		10499		-1339		Yes		RTK		3D		1.2		1176		0.759		0.512		0.433		1.83				WME		Water Meter

		UP6297		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6297		9/17/25 10:39		3728'6.0860"N		797'9.1635"W		1.237		1176043.276		0		UNKNOWN		18		65536		CLASSIC		OMNI PEAK		132		49.513		100		-1		10		13.47		-1.177		31.465		Yes		9/17/25 10:39		RTK		31		1.06		0.61		0.87		10499		-1339		Yes		RTK		3D		0.6		1176		0.433		0.433		0.394		1.225				WME		Water Meter

		UP6298		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6298		9/17/25 10:40		3728'6.1002"N		797'9.1664"W		1.461		1176044.737		0		UNKNOWN		99		65536		CLASSIC		OMNI PEAK		132		9.243		100		0		12		13.892		-0.485		-80.7		Yes		9/17/25 10:40		RTK		31		1.06		0.61		0.87		10499		-1339		Yes		RTK		3D		1.2		1176		0.512		0.433		0.394		1.341				WME		Water Meter

		UP6299		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6299		9/17/25 10:40		3728'6.1156"N		797'9.1699"W		1.59		1176046.327		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		132		69.869		100		0		10		17.14		1.054		14.391		Yes		9/17/25 10:40		RTK		31		1.06		0.61		0.87		10498		-1339		Yes		RTK		3D		1.8		1176		0.394		0.394		0.394		1.114				WME		Water Meter

		UP6300		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6300		9/17/25 10:43		3728'11.9072"N		797'7.2127"W		608.326		1176654.653		0		UNKNOWN		420		65536		CLASSIC		OMNI PEAK		132		8.237		100		0		11		18.317		3.563		32.514		Yes		9/17/25 10:43		RTK		30		1.06		0.61		0.86		10580		-1339		Yes		RTK		3D		0.8		1176		0.551		0.472		0.472		1.452				WME		Water Meter

		UP6301		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6301		9/17/25 10:44		3728'12.8733"N		797'6.9710"W		99.918		1176754.571		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		26.024		100		0		13		17.051		-0.767		-13.282		Yes		9/17/25 10:44		FLOAT RTK		28		1.43		0.89		1.12		10580		-1339		Yes		FLOAT RTK		3D		1.6		1176		16.933		5.706		1.811		35.737				WME		Water Meter

		UP6302		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6302		9/17/25 10:46		3728'11.3338"N		797'3.2608"W		337.105		1177091.676		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		6.645		100		169		8		14.383		-2.828		64.711		Yes		9/17/25 10:46		RTK		29		1.37		0.81		1.1		10505		-1339		Yes		RTK		3D		1.4		1176		0.672		0.433		0.551		1.599				WME		Water Meter

		UP6303		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6303		9/17/25 10:49		3728'11.8103"N		797'9.9087"W		537.463		1177629.139		0		UNKNOWN		139		65536		CLASSIC		OMNI PEAK		132		22.304		100		0		12		11.303		-0.504		1.85		Yes		9/17/25 10:49		RTK		31		1.18		0.69		0.96		10751		-1339		Yes		RTK		3D		0.8		1176		3.034		1.774		1.024		7.03				WME		Water Meter

		UP6304		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6304		9/17/25 10:49		3728'11.7902"N		797'9.9558"W		4.303		1177633.442		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		100		100		-1		11		8.974		-1.096		-9.076		Yes		9/17/25 10:49		RTK		31		1.35		0.77		1.11		10751		-1339		Yes		RTK		3D		1.4		1176		1.05		0.672		0.669		2.493				WME		Water Meter

		UP6305		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6305		9/17/25 10:50		3728'14.2972"N		797'11.3223"W		277.114		1177910.556		0		UNKNOWN		188		65536		CLASSIC		OMNI PEAK		132		21.936		100		-1		12		7.114		0.234		25.467		Yes		9/17/25 10:50		RTK		32		1.25		0.71		1.03		10907		-1339		Yes		RTK		3D		1.4		1176		0.672		0.512		0.512		1.689				WME		Water Meter

		UP6306		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6306		9/17/25 10:52		3728'16.1078"N		797'11.7359"W		186.688		1178097.244		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		20.7		100		14		10		13.196		4.053		-61.28		Yes		9/17/25 10:52		RTK		31		1.25		0.71		1.02		10989		-1339		Yes		RTK		3D		1.2		1176		0.85		0.672		0.63		2.168				WME		Water Meter

		UP6307		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6307		9/17/25 10:55		3728'29.8516"N		797'7.8320"W		1429.302		1179526.546		0		UNKNOWN		129		65536		CLASSIC		OMNI PEAK		132		29.907		100		23		13		10.701		-0.937		-49.58		Yes		9/17/25 10:55		RTK		31		1.32		0.74		1.1		11141		-1339		Yes		RTK		3D		1.8		1176		0.85		0.591		0.551		2.071				WME		Water Meter

		UP6308		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6308		9/17/25 10:56		3728'29.8452"N		797'7.7054"W		10.217		1179536.763		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		9.058		100		-11		7		14.819		0.754		-87.684		Yes		9/17/25 10:56		RTK		31		1.32		0.74		1.1		11144		-1339		Yes		RTK		3D		1.6		1176		2.207		0.948		0.866		4.804				WME		Water Meter

		UP6309		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6309		9/17/25 10:58		3728'36.2085"N		797'3.3617"W		734.202		1180270.965		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		26.802		100		-3		7		9.376		-0.024		20.509		Yes		9/17/25 10:58		RTK		31		1.29		0.76		1.05		11116		-1339		Yes		RTK		3D		0.8		1176		0.551		0.358		0.512		1.315				WME		Water Meter

		UP6310		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6310		9/17/25 10:59		3728'36.7141"N		797'4.6341"W		114.566		1180385.531		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		132		96.877		100		-1		6		15.18		-1.056		-41.586		Yes		9/17/25 10:59		RTK		31		1.69		0.85		1.46		11145		-1339		Yes		RTK		3D		1		1176		0.672		0.512		0.945		1.689				WME		Water Meter

		UP6311		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6311		9/17/25 11:03		3728'39.7746"N		797'0.3786"W		462.371		1180847.902		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		10.505		100		0		11		15.17		-0.584		11.514		Yes		9/17/25 11:03		RTK		31		1.28		0.73		1.06		11192		-1339		Yes		RTK		3D		1.2		1176		0.591		0.433		0.512		1.465				WME		Water Meter

		UP6312		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6312		9/17/25 11:03		3728'39.7759"N		797'0.3494"W		2.352		1180850.255		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		5.18		100		0		13		14.251		0.114		-74.584		Yes		9/17/25 11:03		RTK		31		1.2		0.7		0.97		11194		-1339		Yes		RTK		3D		1.6		1176		1.27		0.591		0.827		2.802				WME		Water Meter

		UP6313		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6313		9/17/25 11:03		3728'39.7788"N		797'0.3216"W		2.262		1180852.517		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		24.752		100		0		10		15.867		0.06		38.192		Yes		9/17/25 11:03		RTK		31		1.28		0.73		1.06		11203		-1339		Yes		RTK		3D		1.2		1176		0.85		0.512		0.709		1.985				WME		Water Meter

		UP6314		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6314		9/17/25 11:05		3728'40.0124"N		797'0.3872"W		24.28		1180876.797		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		9.834		100		13		9		9.742		2.125		-66.102		Yes		9/17/25 11:05		RTK		30		1.56		0.82		1.32		11186		-1339		Yes		RTK		3D		1.4		1176		0.948		0.472		0.787		2.118				WME		Water Meter

		UP6315		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6315		9/17/25 11:09		3728'29.8124"N		796'19.4567"W		0		1180876.797		0		UNKNOWN		15		65536		CLASSIC		OMNI PEAK		132		47.357		100		1		10		10.191		1.191		-16.931		Yes		9/17/25 11:09		RTK		32		1.42		0.81		1.16		10324		-1339		Yes		RTK		3D		1.6		1176		1.157		0.672		0.669		2.677				WME		Water Meter

		UP6316		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6316		9/17/25 11:12		3728'41.6343"N		796'55.7378"W		3157.667		1184034.464		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		4.69		100		0		11		12.105		-2.099		-0.011		Yes		9/17/25 11:12		RTK		32		1.1		0.68		0.86		11123		-1339		Yes		RTK		3D		1.2		1176		0.85		0.551		0.472		2.027				WME		Water Meter

		UP6317		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6317		9/17/25 11:14		3728'41.4562"N		797'4.0454"W		669.084		1184703.548		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		132		42.336		100		-10		11		9.463		-0.169		-13.61		Yes		9/17/25 11:14		RTK		30		1.1		0.68		0.86		11182		-1339		Yes		RTK		3D		0.8		1176		0.672		0.433		0.512		1.599				WME		Water Meter

		UP6318		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6318		9/17/25 11:16		3728'44.6697"N		797'5.5282"W		347.178		1185050.726		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		6.242		100		40		8		13.074		-0.176		-41.419		Yes		9/17/25 11:16		RTK		32		1.05		0.66		0.81		11105		-1339		Yes		RTK		3D		1.4		1176		0.759		0.512		0.512		1.83				WME		Water Meter

		UP6319		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6319		9/17/25 11:17		3728'46.8296"N		797'5.7900"W		220.134		1185270.861		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		9.514		100		2		11		7.622		2.835		-82.293		Yes		9/17/25 11:17		RTK		32		1.05		0.66		0.81		11036		-1339		Yes		RTK		3D		0.8		1176		0.948		0.551		0.512		2.192				WME		Water Meter

		UP6320		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6320		9/17/25 11:18		3728'49.2530"N		797'6.2474"W		248.592		1185519.453		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		11.488		100		2		11		12.517		1.578		-41.169		Yes		9/17/25 11:18		RTK		30		1.23		0.71		1.01		11013		-1339		Yes		RTK		3D		1		1176		1.512		0.85		0.63		3.469				WME		Water Meter

		UP6321		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6321		9/17/25 11:22		3728'49.7381"N		797'7.5563"W		116.303		1185635.756		0		UNKNOWN		80		65536		CLASSIC		OMNI PEAK		132		87.055		100		0		11		10.923		1.046		9.097		Yes		9/17/25 11:22		RTK		30		1.15		0.64		0.95		10977		-1339		Yes		RTK		3D		2.4		1176		0.512		0.394		0.394		1.291				WME		Water Meter

		UP6322		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6322		9/17/25 11:24		3728'47.4251"N		797'7.1624"W		236.797		1185872.553		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		132		100		100		2		8		11.735		0.231		-5.649		Yes		9/17/25 11:24		RTK		31		1.15		0.64		0.95		11025		-1339		Yes		RTK		3D		0.8		1176		0.948		0.672		0.551		2.323				WME		Water Meter

		UP6323		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6323		9/17/25 11:30		3728'45.6015"N		797'7.6941"W		189.892		1186062.444		0		UNKNOWN		43		65536		CLASSIC		OMNI PEAK		132		55.069		100		-18		10		11.331		1.297		82.042		Yes		9/17/25 11:30		RTK		31		1.09		0.59		0.91		11113		-1339		Yes		RTK		3D		1		1176		0.591		0.433		0.551		1.465				WME		Water Meter

		UP6324		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6324		9/17/25 11:31		3728'45.0385"N		797'9.3157"W		142.491		1186204.936		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		54.438		100		-5		10		10.448		2.787		40.481		Yes		9/17/25 11:31		RTK		32		1.09		0.58		0.92		11163		-1339		Yes		RTK		3D		1.4		1176		1.157		0.551		0.551		2.564				WME		Water Meter

		UP6325		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6325		9/17/25 11:33		3728'45.1787"N		797'8.0603"W		102.066		1186307.002		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		132		100		100		-6		5		10.204		-1.918		12.927		Yes		9/17/25 11:33		RTK		32		1.09		0.58		0.93		11141		-1339		Yes		RTK		3D		0.6		1176		0.512		0.512		0.433		1.448				WME		Water Meter

		UP6326		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6326		9/17/25 11:35		3728'41.9610"N		797'6.1189"W		361.925		1186668.926		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		132		89.008		100		0		6		17.338		-1.016		2.938		Yes		9/17/25 11:35		RTK		30		1.1		0.58		0.93		11178		-1339		Yes		RTK		3D		1.4		1176		0.759		0.591		0.512		1.923				WME		Water Meter

		UP6327		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6327		9/17/25 11:37		3728'40.6049"N		797'5.8126"W		139.773		1186808.699		0		UNKNOWN		164		65536		CLASSIC		OMNI PEAK		132		44.099		100		2		9		15.362		-0.756		36.284		Yes		9/17/25 11:37		RTK		32		1.1		0.58		0.94		11182		-1339		Yes		RTK		3D		1.2		1176		0.759		0.591		0.512		1.923				WME		Water Meter

		UP6328		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6328		9/17/25 11:38		3728'39.0273"N		797'5.7119"W		160.251		1186968.95		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		132		51.509		100		0		12		11.781		1.348		1.945		Yes		9/17/25 11:39		RTK		32		1.11		0.58		0.94		11163		-1339		Yes		RTK		3D		1.4		1176		0.672		0.591		0.551		1.789				WME		Water Meter

		UP6329		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6329		9/17/25 11:40		3728'37.8141"N		797'5.8262"W		123.418		1187092.367		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		23.375		100		-9		5		11.679		-0.406		-9.268		Yes		9/17/25 11:40		RTK		31		1.11		0.58		0.95		11115		-1339		Yes		RTK		3D		1.2		1176		1.512		0.948		0.709		3.568				WME		Water Meter

		UP6330		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6330		9/17/25 11:44		3728'30.1679"N		797'27.2535"W		1891.523		1188983.89		0		UNKNOWN		63		65536		CLASSIC		OMNI PEAK		132		42.125		100		0		13		17.829		2.428		-21.631		Yes		9/17/25 11:44		RTK		30		1.11		0.57		0.95		10932		-1339		Yes		RTK		3D		1.2		1176		0.472		0.433		0.394		1.282				WME		Water Meter

		UP6331		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6331		9/17/25 11:47		3728'21.6181"N		797'13.8149"W		1386.747		1190370.637		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		132		100		100		-1		8		18.312		-0.722		-15.003		Yes		9/17/25 11:47		RTK		31		1.29		0.66		1.12		11056		-1339		Yes		RTK		3D		0.8		1176		0.672		0.472		0.433		1.643				WME		Water Meter

		UP6332		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6332		9/17/25 11:48		3728'20.1831"N		797'14.0664"W		146.984		1190517.621		0		UNKNOWN		167		65536		CLASSIC		OMNI PEAK		132		22.767		100		8		10		15.091		-2.625		59.82		Yes		9/17/25 11:48		RTK		32		1.12		0.57		0.96		11139		-1339		Yes		RTK		3D		1		1176		1.157		0.759		0.63		2.768				WME		Water Meter

		UP6333		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6333		9/17/25 11:49		3728'18.8177"N		797'14.1095"W		138.56		1190656.181		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		132		73.359		100		2		10		8.68		-2.222		-2.402		Yes		9/17/25 11:49		RTK		32		1.17		0.59		1		11148		-1339		Yes		RTK		3D		0.8		1176		2.207		1.27		0.827		5.094				WME		Water Meter

		UP6334		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6334		9/17/25 11:52		3728'14.1933"N		797'12.7059"W		482.571		1191138.752		0		UNKNOWN		44		65536		CLASSIC		OMNI PEAK		132		56.902		100		-84		8		15.69		0.351		-70.917		Yes		9/17/25 11:52		RTK		32		1.25		0.61		1.1		10951		-1339		Yes		RTK		3D		1		1176		0.759		0.512		0.472		1.83				WME		Water Meter

		UP6335		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6335		9/17/25 11:59		3728'11.1874"N		797'23.6936"W		935.786		1192074.538		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		132		61.416		100		10		9		9.33		0.587		7.098		Yes		9/17/25 11:59		RTK		30		1.13		0.57		0.98		10583		-1339		Yes		RTK		3D		0.6		1176		0.591		0.472		0.433		1.513				WME		Water Meter

		UP6336		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6336		9/17/25 12:00		3728'13.3013"N		797'31.1981"W		641.176		1192715.714		0		UNKNOWN		19		65536		CLASSIC		OMNI PEAK		132		41.508		100		0		13		9.533		1.738		3.48		Yes		9/17/25 12:00		RTK		32		1.14		0.56		0.99		10338		-1339		Yes		RTK		3D		1		1176		0.591		0.512		0.433		1.563				WME		Water Meter

		UP6337		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6337		9/17/25 12:05		3728'57.7718"N		797'29.8847"W		0		1192715.714		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		132		85.95		100		-1		11		10.248		0.779		1.559		Yes		9/17/25 12:05		RTK		31		1.13		0.56		0.98		10843		-1339		Yes		RTK		3D		0.4		1176		0.948		0.591		0.63		2.233				WME		Water Meter

		UP6338		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6338		9/17/25 12:08		3729'21.4803"N		798'3.3203"W		0		1192715.714		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		6.853		100		-7		6		9.518		-0.545		-46.347		Yes		9/17/25 12:08		RTK		31		1.25		0.58		1.11		9423		-1338		Yes		RTK		3D		1.4		1176		1.157		0.672		0.669		2.677				WME		Water Meter

		UP6339		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6339		9/17/25 12:12		3728'54.2280"N		798'18.7683"W		3031.559		1195747.273		0		UNKNOWN		43		65536		CLASSIC		OMNI PEAK		132		19.084		100		-11		7		16.74		1.053		23.478		Yes		9/17/25 12:12		FLOAT RTK		30		1.25		0.59		1.1		10313		-1338		Yes		FLOAT RTK		3D		1.2		1176		3.865		1.841		0.472		8.562				WME		Water Meter

		UP6340		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		6340		9/17/25 12:18		3729'22.1960"N		799'23.4954"W		0		1195747.273		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		11.212		100		0		13		10.862		-0.405		24.806		Yes		9/17/25 12:18		DGPS SPS VALID		27		1.26		0.59		1.12		8516		-1338		Yes		DIFFERENTIAL		3D		0.6		1176		5.421		4.465		6.299		14.046				WME		Water Meter

		UP6341		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6341		9/17/25 12:18		3729'22.1888"N		799'23.4845"W		1.139		1195748.412		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		22.896		100		1		10		33.682		1.944		-15.146		Yes		9/17/25 12:18		RTK		27		1.26		0.59		1.12		8529		-1338		Yes		RTK		3D		0.4		1176		1.512		0.948		0.787		3.568				WME		Water Meter

		UP6342		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6342		9/17/25 12:19		3729'22.1959"N		799'23.5094"W		2.129		1195750.541		0		UNKNOWN		68		65536		CLASSIC		OMNI PEAK		132		43.972		100		1		13		15.878		-1.484		-5.756		Yes		9/17/25 12:19		FLOAT RTK		27		1.26		0.59		1.12		8541		-1338		Yes		FLOAT RTK		3D		0.4		1176		6.81		5.706		1.417		17.769				WME		Water Meter

		UP6343		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6343		9/17/25 12:23		3728'57.3659"N		798'4.7658"W		0		1195750.541		0		UNKNOWN		47		65536		CLASSIC		OMNI PEAK		132		37.3		100		-2		8		15.06		0.379		-13.245		Yes		9/17/25 12:23		RTK		31		1.26		0.58		1.12		10632		-1338		Yes		RTK		3D		1		1176		0.759		0.512		0.63		1.83				WME		Water Meter

		UP6344		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6344		9/17/25 12:26		3728'44.2485"N		798'2.0782"W		1348.239		1197098.78		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		132		93.73		100		-1		7		19.194		-0.831		-32.607		Yes		9/17/25 12:26		RTK		29		1.38		0.64		1.22		9074		-1338		Yes		RTK		3D		1.4		1176		1.774		0.948		0.906		4.023				WME		Water Meter

		UP6345		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6345		9/17/25 12:30		3728'45.3769"N		797'44.8859"W		1388.847		1198487.628		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		132		50.713		100		-3		12		10.373		-1.915		23.888		Yes		9/17/25 12:30		RTK		31		1.25		0.58		1.1		9807		-1339		Yes		RTK		3D		0.4		1176		0.759		0.512		0.63		1.83				WME		Water Meter

		UP6346		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6346		9/17/25 12:33		3728'51.5562"N		797'34.0494"W		1074.294		1199561.922		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		15.141		100		30		9		14.639		-3.54		-35.138		Yes		9/17/25 12:33		RTK		30		1.24		0.58		1.09		10549		-1339		Yes		RTK		3D		0.8		1176		1.64		1.157		0.984		4.015				WME		Water Meter

		UP6347		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6347		9/17/25 12:35		3728'55.9003"N		797'17.9261"W		1370.799		1200932.72		0		UNKNOWN		240		65536		CLASSIC		OMNI PEAK		132		16.395		100		0		13		9.45		0.454		39.832		Yes		9/17/25 12:35		RTK		32		1.36		0.63		1.2		10919		-1339		Yes		RTK		3D		1.2		1176		0.551		0.472		0.433		1.452				WME		Water Meter

		UP6348		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6348		9/17/25 12:38		3728'51.7143"N		797'6.6796"W		1000.059		1201932.78		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		8.975		100		-1		7		13.2		0.432		2.951		Yes		9/17/25 12:38		RTK		32		1.15		0.56		1		10972		-1339		Yes		RTK		3D		1.4		1176		0.85		0.672		0.669		2.168				WME		Water Meter

		UP6349		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6349		9/17/25 12:41		3728'55.9436"N		797'7.4197"W		433.188		1202365.968		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		132		88.794		100		2		7		15.787		-1.818		-38.789		Yes		9/17/25 12:41		RTK		32		1.15		0.56		1		10869		-1339		Yes		RTK		3D		0.6		1176		0.759		0.591		0.63		1.923				WME		Water Meter

		UP6350		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6350		9/17/25 12:43		3728'57.7646"N		797'7.3720"W		184.778		1202550.745		0		UNKNOWN		47		65536		CLASSIC		OMNI PEAK		132		49.875		100		1		10		13.792		-3.213		-49.178		Yes		9/17/25 12:43		RTK		31		1.24		0.59		1.1		10803		-1339		Yes		RTK		3D		1		1176		1.157		0.759		0.787		2.768				WME		Water Meter

		UP6351		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6351		9/17/25 12:44		3728'58.3450"N		797'6.9695"W		67.21		1202617.955		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		23.079		100		1		11		14.89		-1.201		-5.158		Yes		9/17/25 12:44		RTK		31		1.24		0.59		1.09		10786		-1339		Yes		RTK		3D		0.4		1176		0.591		0.512		0.591		1.563				WME		Water Meter

		UP6352		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6352		9/17/25 12:53		3729'8.4265"N		796'42.7980"W		2198.295		1204816.25		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		18.768		100		-53		9		15.215		-1.171		44.717		Yes		9/17/25 12:53		RTK		32		1.13		0.54		1		11033		-1339		Yes		RTK		3D		1.4		1176		2.522		1.512		1.142		5.881				WME		Water Meter

		UP6353		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6353		9/17/25 12:57		3729'36.3451"N		796'14.5235"W		0		1204816.25		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		10.951		100		3		10		9.827		5.241		-75.06		Yes		9/17/25 12:57		RTK		32		1.28		0.58		1.14		11010		-1339		Yes		RTK		3D		1.4		1176		0.759		0.591		0.669		1.923				WME		Water Meter

		UP6354		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6354		9/17/25 13:01		3729'2.2779"N		797'8.3109"W		0		1204816.25		0		UNKNOWN		14		65536		CLASSIC		OMNI PEAK		132		74.882		100		8		12		10.107		1.009		-79.658		Yes		9/17/25 13:01		RTK		32		1.21		0.57		1.07		10712		-1339		Yes		RTK		3D		0.8		1176		0.433		0.28		0.394		1.031				WME		Water Meter

		UP6355		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6355		9/17/25 13:02		3729'2.2195"N		797'8.2668"W		6.905		1204823.156		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		91.464		100		-8		10		9.345		0.325		-1.994		Yes		9/17/25 13:02		RTK		32		1.09		0.53		0.95		10711		-1339		Yes		RTK		3D		1		1176		0.472		0.362		0.433		1.191				WME		Water Meter

		UP6356		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6356		9/17/25 13:08		3727'39.5024"N		797'7.6257"W		0		1204823.156		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		132		100		100		4		8		12.057		0.136		11.628		Yes		9/17/25 13:08		RTK		32		1.07		0.53		0.93		10209		-1339		Yes		RTK		3D		1		1176		0.591		0.472		0.512		1.513				WME		Water Meter

		UP6357		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6357		9/17/25 13:10		3727'25.7834"N		796'22.7741"W		0		1204823.156		0		UNKNOWN		73		65536		CLASSIC		OMNI PEAK		132		45.09		100		-1		10		13.593		-0.209		-82.885		Yes		9/17/25 13:10		RTK		32		1.06		0.53		0.92		9511		-1339		Yes		RTK		3D		1.4		1176		0.672		0.512		0.551		1.689				WME		Water Meter

		UP6358		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6358		9/17/25 13:14		3727'43.8590"N		796'56.1975"W		3256.882		1208080.038		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		33.378		100		-5		10		14.934		0.592		-38.803		Yes		9/17/25 13:14		RTK		32		1.14		0.59		0.98		9727		-1339		Yes		RTK		3D		1		1176		0.85		0.512		0.551		1.985				WME		Water Meter

		UP6359		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6359		9/17/25 13:15		3727'43.9214"N		796'56.2541"W		7.799		1208087.837		0		UNKNOWN		81		65536		CLASSIC		OMNI PEAK		132		34.675		100		-3		12		7.68		1.285		-38.304		Yes		9/17/25 13:15		RTK		32		1.14		0.59		0.98		9728		-1339		Yes		RTK		3D		1		1176		1.774		0.85		0.787		3.935				WME		Water Meter

		UP6360		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6360		9/17/25 13:15		3727'43.9839"N		796'56.3196"W		8.247		1208096.084		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		132		91.633		100		7		12		13.676		0.07		-75.588		Yes		9/17/25 13:15		RTK		32		1.09		0.56		0.94		9725		-1339		Yes		RTK		3D		0.4		1176		0.472		0.433		0.433		1.282				WME		Water Meter

		UP6361		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6361		9/17/25 13:17		3727'44.2725"N		796'56.4622"W		31.446		1208127.53		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		7.698		100		-50		11		13.093		-0.796		2.712		Yes		9/17/25 13:17		RTK		32		1.09		0.56		0.94		9741		-1339		Yes		RTK		3D		1.2		1176		0.591		0.433		0.472		1.465				WME		Water Meter

		UP6362		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6362		9/17/25 13:18		3727'45.5461"N		796'58.2952"W		196.171		1208323.701		0		UNKNOWN		744		65536		CLASSIC		OMNI PEAK		132		24.98		100		-456		10		14.318		-2.409		10.993		Yes		9/17/25 13:18		RTK		32		1.17		0.58		1.02		9759		-1339		Yes		RTK		3D		0.4		1176		0.591		0.433		0.551		1.465				WME		Water Meter

		UP6363		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6363		9/17/25 13:19		3727'45.5863"N		796'58.5488"W		20.82		1208344.521		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		0.216		100		47		13		8.532		-1.049		35.845		Yes		9/17/25 13:19		RTK		32		1.28		0.62		1.12		9757		-1339		Yes		RTK		3D		1.2		1176		2.207		0.948		1.102		4.804				WME		Water Meter

		UP6364		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6364		9/17/25 13:19		3727'45.6133"N		796'58.7903"W		19.643		1208364.165		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		0.078		100		30		13		11.81		-3.079		41.242		Yes		9/17/25 13:19		RTK		32		1.16		0.58		1.01		9758		-1339		Yes		RTK		3D		1.4		1176		0.591		0.374		0.512		1.398				WME		Water Meter

		UP6365		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6365		9/17/25 13:19		3727'45.6882"N		796'59.2525"W		37.982		1208402.147		0		UNKNOWN		17		65536		CLASSIC		OMNI PEAK		132		43.911		100		-58		6		14.677		1.708		-8.147		Yes		9/17/25 13:19		RTK		32		1.24		0.59		1.09		9759		-1339		Yes		RTK		3D		1.2		1176		0.85		0.512		0.63		1.985				WME		Water Meter

		UP6366		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6366		9/17/25 13:20		3727'45.7128"N		796'59.5094"W		20.84		1208422.987		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		11.943		100		22		12		13.792		-3.124		86.129		Yes		9/17/25 13:20		RTK		32		1.24		0.59		1.09		9761		-1339		Yes		RTK		3D		1		1176		0.672		0.591		0.63		1.789				WME		Water Meter

		UP6367		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6367		9/17/25 13:20		3727'45.7462"N		796'59.7313"W		18.188		1208441.174		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		12.772		100		69		8		12.247		-0.669		-86.541		Yes		9/17/25 13:21		RTK		32		1.48		0.67		1.33		9763		-1339		Yes		RTK		3D		1		1176		0.672		0.394		0.512		1.558				WME		Water Meter

		UP6368		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6368		9/17/25 13:23		3727'43.5048"N		796'58.6858"W		242.479		1208683.653		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		132		63.617		100		0		10		13.712		-0.759		-22.743		Yes		9/17/25 13:23		RTK		32		1.2		0.59		1.04		9729		-1339		Yes		RTK		3D		1.2		1176		1.388		0.759		0.827		3.164				WME		Water Meter

		UP6369		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6369		9/17/25 13:26		3727'46.4390"N		797'6.6573"W		707.588		1209391.242		0		UNKNOWN		27		65536		CLASSIC		OMNI PEAK		132		45.821		100		-6		4		12.262		0.364		11.503		Yes		9/17/25 13:26		RTK		32		1.14		0.57		0.99		10202		-1339		Yes		RTK		3D		0.8		1176		0.948		0.591		0.709		2.233				WME		Water Meter

		UP6370		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6370		9/17/25 13:27		3727'46.4574"N		797'6.4656"W		15.552		1209406.793		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		132		47.015		100		0		9		13.079		0.257		5.687		Yes		9/17/25 13:27		RTK		32		1.12		0.56		0.97		10197		-1339		Yes		RTK		3D		0.6		1176		0.551		0.394		0.472		1.355				WME		Water Meter

		UP6371		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6371		9/17/25 13:30		3727'40.0219"N		797'6.3490"W		652.954		1210059.748		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		17.027		100		6		10		18.281		-3.805		-7.979		Yes		9/17/25 13:30		RTK		31		1.05		0.54		0.9		10143		-1339		Yes		RTK		3D		0.8		1176		0.672		0.433		0.433		1.599				WME		Water Meter

		UP6372		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6372		9/17/25 13:30		3727'40.0199"N		797'6.3770"W		2.265		1210062.013		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		1.583		100		4		11		14.843		0.232		-61.012		Yes		9/17/25 13:30		RTK		31		1.05		0.54		0.9		10145		-1339		Yes		RTK		3D		1		1176		1.774		0.759		0.709		3.859				WME		Water Meter

		UP6373		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6373		9/17/25 13:31		3727'40.3219"N		797'7.6373"W		106.017		1210168.029		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		132		100		100		-7		9		9.893		0.324		-1.294		Yes		9/17/25 13:31		RTK		31		1.16		0.58		1		10223		-1339		Yes		RTK		3D		0.6		1176		1.27		0.85		0.866		3.057				WME		Water Meter

		UP6374		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6374		9/17/25 13:34		3727'52.6852"N		797'7.2320"W		1254.688		1211422.717		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		132		66.765		100		-31		9		11.715		0.776		-21.102		Yes		9/17/25 13:34		RTK		32		1.09		0.56		0.94		10275		-1339		Yes		RTK		3D		1.8		1176		3.215		1.774		1.102		7.345				WME		Water Meter

		UP6375		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6375		9/17/25 13:37		3727'55.7394"N		797'7.4776"W		310.477		1211733.194		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		1.76		100		-70		2		11.655		0.31		39.006		Yes		9/17/25 13:37		RTK		31		1.19		0.59		1.03		10185		-1339		Yes		RTK		3D		1.2		1176		0.672		0.512		0.512		1.689				WME		Water Meter

		UP6376		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6376		9/17/25 13:37		3727'55.7590"N		797'7.4774"W		1.991		1211735.185		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		10.097		100		-53		4		7.727		-1.432		11.633		Yes		9/17/25 13:37		RTK		31		1.12		0.57		0.96		10186		-1339		Yes		RTK		3D		1.8		1176		0.759		0.512		0.512		1.83				WME		Water Meter

		UP6377		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6377		9/17/25 13:38		3727'57.0653"N		797'7.3987"W		132.67		1211867.855		0		UNKNOWN		26		65536		CLASSIC		OMNI PEAK		132		71.052		100		9		6		16.861		-1.262		-7.461		Yes		9/17/25 13:38		RTK		32		1.12		0.59		0.95		10173		-1339		Yes		RTK		3D		0.6		1176		1.913		1.157		0.709		4.472				WME		Water Meter

		UP6378		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6378		9/17/25 13:41		3727'59.2013"N		797'1.1467"W		548.082		1212415.937		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		132		47.635		100		6		9		13.512		1.175		17.907		Yes		9/17/25 13:41		RTK		30		1.19		0.62		1.01		10240		-1339		Yes		RTK		3D		1		1176		0.759		0.551		0.551		1.875				WME		Water Meter

		UP6379		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6379		9/17/25 13:43		3727'59.0815"N		797'1.1875"W		12.588		1212428.525		0		UNKNOWN		27		65536		CLASSIC		OMNI PEAK		132		61.599		100		-5		10		15.643		3.43		-63.175		Yes		9/17/25 13:43		RTK		30		1.15		0.59		0.99		10240		-1339		Yes		RTK		3D		1.6		1176		1.913		1.05		0.866		4.365				WME		Water Meter

		UP6380		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6380		9/17/25 13:44		3727'59.1872"N		796'52.8060"W		674.978		1213103.503		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		132		45.518		99		-1		11		18.243		-7.976		29.161		Yes		9/17/25 13:44		RTK		32		1.1		0.58		0.93		10370		-1339		Yes		RTK		3D		1.2		1176		0.551		0.339		0.394		1.294				WME		Water Meter

		UP6381		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6381		9/17/25 13:49		3727'45.1118"N		796'29.1186"W		2382.703		1215486.206		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		132		89.927		100		-2		12		10.496		-3.191		-10.712		Yes		9/17/25 13:49		RTK		32		1.07		0.58		0.9		10120		-1339		Yes		RTK		3D		1.2		1176		0.85		0.394		0.394		1.874				WME		Water Meter

		UP6382		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6382		9/17/25 13:50		3727'45.9320"N		796'29.8811"W		103.412		1215589.618		0		UNKNOWN		29		65536		CLASSIC		OMNI PEAK		132		35.827		99		0		11		11.078		0.522		4.23		Yes		9/17/25 13:50		RTK		32		1.06		0.56		0.9		10118		-1339		Yes		RTK		3D		1		1176		0.759		0.433		0.433		1.747				WME		Water Meter

		UP6383		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6383		9/17/25 13:51		3727'47.5397"N		796'31.4528"W		206.445		1215796.064		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		7.136		99		7		10		9.788		-0.523		85.299		Yes		9/17/25 13:51		RTK		31		1.03		0.54		0.88		10180		-1339		Yes		RTK		3D		1.2		1176		0.551		0.358		0.394		1.315				WME		Water Meter

		UP6384		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6384		9/17/25 13:52		3727'48.9545"N		796'32.7229"W		176.248		1215972.312		0		UNKNOWN		19		65536		CLASSIC		OMNI PEAK		132		52.804		99		2		9		16.682		1.332		-3.702		Yes		9/17/25 13:52		RTK		32		1.17		0.59		1.01		10237		-1339		Yes		RTK		3D		1		1176		1.774		0.512		0.512		3.693				WME		Water Meter

		UP6385		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6385		9/17/25 13:57		3727'59.5871"N		796'48.5102"W		1667.219		1217639.531		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		132		100		97		-7		11		12.805		1.905		-53.173		Yes		9/17/25 13:57		RTK		32		1.03		0.54		0.87		10329		-1339		Yes		RTK		3D		0.8		1176		0.948		0.472		0.472		2.118				WME		Water Meter

		UP6386		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6386		9/17/25 14:08		3726'9.7027"N		796'45.8495"W		0		1217639.531		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		17.262		96		-17		6		22.109		-8.096		-12.587		Yes		9/17/25 14:08		RTK		32		1.08		0.55		0.93		8627		-1339		Yes		RTK		3D		0.8		1176		0.472		0.433		0.433		1.282				WME		Water Meter

		UP6387		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6387		9/17/25 14:12		3726'25.7226"N		796'54.7189"W		1775.333		1219414.864		0		UNKNOWN		162		65536		CLASSIC		OMNI PEAK		132		47.47		96		-1		10		10.086		1.96		23.572		Yes		9/17/25 14:12		RTK		32		1.05		0.54		0.9		9672		-1339		Yes		RTK		3D		0.4		1176		2.362		1.913		0.945		6.08				WME		Water Meter

		UP6388		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6388		9/17/25 14:15		3726'29.6260"N		796'55.5191"W		401.215		1219816.079		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		42.519		94		519		7		14.066		2.136		38.264		Yes		9/17/25 14:15		RTK		31		1.04		0.54		0.9		9667		-1339		Yes		RTK		3D		1.2		1176		0.85		0.551		0.551		2.027				WME		Water Meter

		UP6389		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6389		9/17/25 14:27		3726'28.7533"N		797'0.9328"W		444.963		1220261.042		0		UNKNOWN		176		65536		CLASSIC		OMNI PEAK		132		76.457		93		16		11		10.67		3.028		-19.699		Yes		9/17/25 14:27		RTK		32		1.03		0.54		0.88		9848		-1339		Yes		RTK		3D		0.4		1176		1.64		1.27		0.827		4.15				WME		Water Meter

		UP6390		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6390		9/17/25 14:27		3726'29.2098"N		797'1.0485"W		47.249		1220308.292		0		UNKNOWN		23		65536		CLASSIC		OMNI PEAK		132		100		93		-12		8		17.826		-2.718		20.979		Yes		9/17/25 14:28		RTK		32		1.05		0.55		0.89		9852		-1339		Yes		RTK		3D		1		1176		1.157		0.512		0.591		2.531				WME		Water Meter

		UP6391		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6391		9/17/25 14:28		3726'29.5095"N		797'1.2854"W		35.891		1220344.182		0		UNKNOWN		33		65536		CLASSIC		OMNI PEAK		132		100		93		-7		9		12.74		-2.021		-50.894		Yes		9/17/25 14:28		RTK		32		1.03		0.54		0.88		9849		-1339		Yes		RTK		3D		1.4		1176		2.522		0.672		0.827		5.221				WME		Water Meter

		UP6392		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6392		9/17/25 14:28		3726'29.4550"N		797'1.2504"W		6.204		1220350.386		0		UNKNOWN		811		65536		CLASSIC		OMNI PEAK		132		55.362		93		-24		12		7.978		-0.673		-7.319		Yes		9/17/25 14:28		RTK		31		1.03		0.54		0.88		9853		-1339		Yes		RTK		3D		1.2		1176		0.672		0.394		0.433		1.558				WME		Water Meter

		UP6393		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6393		9/17/25 14:31		3726'31.9178"N		797'3.2669"W		298.011		1220648.397		0		UNKNOWN		19		65536		CLASSIC		OMNI PEAK		132		100		93		3		11		12.074		-2.687		-7.727		Yes		9/17/25 14:31		FLOAT RTK		32		1.09		0.55		0.93		9856		-1339		Yes		FLOAT RTK		3D		1.4		1176		4.049		3.313		0.748		10.464				WME		Water Meter

		UP6394		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6394		9/17/25 14:31		3726'31.9345"N		797'3.2818"W		2.073		1220650.47		0		UNKNOWN		26		65536		CLASSIC		OMNI PEAK		132		100		93		21		6		10.296		1.788		-61.847		Yes		9/17/25 14:31		FLOAT RTK		32		1.11		0.57		0.96		9856		-1339		Yes		FLOAT RTK		3D		0.8		1176		4.785		4.233		0.787		12.778				WME		Water Meter

		UP6395		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6395		9/17/25 14:32		3726'32.3423"N		797'3.5896"W		48.23		1220698.7		0		UNKNOWN		42		65536		CLASSIC		OMNI PEAK		132		100		94		-2		5		16.426		1.84		16.618		Yes		9/17/25 14:32		FLOAT RTK		32		1.03		0.54		0.87		9865		-1339		Yes		FLOAT RTK		3D		2		1176		20.246		11.411		2.244		46.481				WME		Water Meter

		UP6396		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6396		9/17/25 14:35		3726'28.6928"N		797'5.7527"W		409.188		1221107.888		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		132		100		92		3		10		17.659		-9.317		2.941		Yes		9/17/25 14:35		RTK		32		1.02		0.53		0.87		9896		-1339		Yes		RTK		3D		0.6		1176		0.672		0.591		0.512		1.789				WME		Water Meter

		UP6397		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6397		9/18/25 7:16		3729'16.1487"N		797'20.4813"W		0		1221107.888		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		132		9.28		100		1		9		15.127		-2.909		33.964		Yes		9/18/25 7:16		RTK		26		1.64		0.83		1.41		10587		-1339		Yes		RTK		3D		1		2060		1.05		0.591		0.669		2.409				WME		Water Meter

		UP6398		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6398		9/18/25 7:19		3729'6.7215"N		797'12.6490"W		1145.527		1222253.415		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		28.173		100		-1		12		8.394		-2.066		-60.958		Yes		9/18/25 7:19		RTK		28		1.2		0.6		1.04		10667		-1339		Yes		RTK		3D		1.2		2060		0.85		0.394		0.472		1.874				WME		Water Meter

		UP6399		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6399		9/18/25 7:22		3729'5.3259"N		797'11.4208"W		172.688		1222426.103		0		UNKNOWN		150		65536		CLASSIC		OMNI PEAK		132		59.957		100		-9		9		12.199		-0.757		-82.561		Yes		9/18/25 7:22		RTK		27		1.2		0.61		1.03		10710		-1339		Yes		RTK		3D		1.2		2060		1.774		0.85		0.787		3.935				WME		Water Meter

		UP6400		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6400		9/18/25 7:22		3729'5.0566"N		797'11.0134"W		42.69		1222468.793		0		UNKNOWN		10		65536		CLASSIC		OMNI PEAK		132		48.653		100		0		8		11.512		-0.545		-60.888		Yes		9/18/25 7:22		RTK		27		1.2		0.61		1.03		10696		-1339		Yes		RTK		3D		1.2		2060		1.157		0.472		0.551		2.5				WME		Water Meter

		UP6401		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6401		9/18/25 7:24		3729'2.1659"N		797'9.5712"W		315.405		1222784.198		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		132		73.431		100		-1		12		12.013		-1.375		-40.213		Yes		9/18/25 7:24		RTK		31		1.18		0.6		1.02		10672		-1339		Yes		RTK		3D		1.4		2060		1.388		0.672		0.709		3.085				WME		Water Meter

		UP6402		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6402		9/18/25 7:29		3728'56.4762"N		797'10.2427"W		579.746		1223363.944		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		36.435		100		5		10		17.385		-2.014		-30.482		Yes		9/18/25 7:29		RTK		31		1.15		0.59		0.99		10863		-1339		Yes		RTK		3D		0.6		2060		0.394		0.303		0.394		0.994				WME		Water Meter

		UP6403		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6403		9/18/25 7:30		3728'56.5142"N		797'10.1949"W		5.447		1223369.391		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		132		38.487		100		10		8		16.103		-4.853		3.388		Yes		9/18/25 7:30		RTK		31		1.16		0.59		1		10860		-1339		Yes		RTK		3D		0.8		2060		0.433		0.335		0.394		1.095				WME		Water Meter

		UP6404		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6404		9/18/25 7:32		3728'54.3840"N		797'8.3836"W		260.696		1223630.087		0		UNKNOWN		425		65536		CLASSIC		OMNI PEAK		132		45.57		100		-4		10		13.236		2.326		-36.647		Yes		9/18/25 7:32		RTK		31		1.19		0.6		1.03		10924		-1339		Yes		RTK		3D		0.4		2060		0.551		0.382		0.394		1.341				WME		Water Meter

		UP6405		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6405		9/18/25 7:35		3729'31.3768"N		797'27.3022"W		0		1223630.087		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		132		91.958		100		-2		10		14.938		-0.907		-5.427		Yes		9/18/25 7:35		RTK		30		1.18		0.6		1.01		10190		-1339		Yes		RTK		3D		1.2		2060		0.85		0.512		0.551		1.985				WME		Water Meter

		UP6406		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6406		9/18/25 7:36		3729'31.5122"N		797'27.4059"W		16.074		1223646.16		0		UNKNOWN		194		65536		CLASSIC		OMNI PEAK		132		26.364		100		0		9		16.485		-1.384		-10.889		Yes		9/18/25 7:36		FLOAT RTK		30		1.17		0.6		1.01		10183		-1339		Yes		FLOAT RTK		3D		3.8		2060		6.81		5.522		1.22		17.535				WME		Water Meter

		UP6407		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6407		9/18/25 7:36		3729'31.5210"N		797'27.4099"W		0.95		1223647.11		0		UNKNOWN		10		65536		CLASSIC		OMNI PEAK		132		44.552		100		1		9		20.264		-5.821		6.898		Yes		9/18/25 7:36		FLOAT RTK		30		1.17		0.6		1.01		10188		-1339		Yes		FLOAT RTK		3D		0.6		2060		5.706		5.154		1.063		15.377				WME		Water Meter

		UP6408		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6408		9/18/25 7:41		3730'4.4573"N		797'21.6453"W		0		1223647.11		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		132		99.671		100		0		8		13.935		-0.487		-21.892		Yes		9/18/25 7:41		RTK		29		1.08		0.56		0.92		9381		-1339		Yes		RTK		3D		1.2		2060		0.591		0.472		0.433		1.513				WME		Water Meter

		UP6409		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6409		9/18/25 7:44		3729'56.7182"N		797'0.8714"W		1847.171		1225494.281		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		132		46.333		100		-8		8		9.433		2.228		85.808		Yes		9/18/25 7:44		RTK		32		1.07		0.56		0.91		10578		-1339		Yes		RTK		3D		1.2		2060		0.948		0.551		0.551		2.192				WME		Water Meter

		UP6410		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6410		9/18/25 7:47		3729'44.2365"N		796'34.5733"W		2466.551		1227960.832		0		UNKNOWN		2356		65536		CLASSIC		OMNI PEAK		132		19.139		100		-1		12		8.323		0.299		0.232		Yes		9/18/25 7:47		RTK		31		1.11		0.57		0.95		10892		-1339		Yes		RTK		3D		1.2		2060		0.433		0.35		0.394		1.114				WME		Water Meter

		UP6411		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6411		9/18/25 7:53		3730'25.3089"N		797'12.7832"W		0		1227960.832		0		UNKNOWN		39		65536		CLASSIC		OMNI PEAK		132		17.033		100		7		8		15.243		-2.272		-13.24		Yes		9/18/25 7:53		RTK		31		1.14		0.56		1		8519		-1339		Yes		RTK		3D		0.6		2060		0.433		0.343		0.394		1.104				WME		Water Meter

		UP6412		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6412		9/18/25 7:55		3730'25.3336"N		797'12.8267"W		4.302		1227965.134		0		UNKNOWN		44		65536		CLASSIC		OMNI PEAK		132		23.109		100		0		10		12.751		3.73		52.776		Yes		9/18/25 7:55		RTK		31		1.14		0.56		0.99		8518		-1339		Yes		RTK		3D		1.2		2060		0.85		0.591		0.512		2.071				WME		Water Meter

		UP6413		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6413		9/18/25 8:02		3731'4.8087"N		797'19.3563"W		0		1227965.134		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		132		100		100		4		9		14.153		-0.006		62.055		Yes		9/18/25 8:02		RTK		31		1.12		0.55		0.97		9884		-1339		Yes		RTK		3D		1.2		2060		1.388		1.27		0.709		3.764				WME		Water Meter

		UP6414		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6414		9/18/25 8:06		3731'36.4164"N		796'31.9838"W		0		1227965.134		0		UNKNOWN		28		65536		CLASSIC		OMNI PEAK		132		31.894		100		0		12		11.501		2.151		65.946		Yes		9/18/25 8:06		RTK		31		1.11		0.55		0.96		10147		-1339		Yes		RTK		3D		1.4		2060		0.591		0.472		0.394		1.513				WME		Water Meter

		UP6415		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6415		9/18/25 8:08		3731'41.2513"N		796'22.7837"W		887.976		1228853.109		0		UNKNOWN		51		65536		CLASSIC		OMNI PEAK		132		17.104		100		0		13		8.127		-2.634		11.772		Yes		9/18/25 8:08		RTK		31		1.1		0.55		0.95		10553		-1339		Yes		RTK		3D		1.2		2060		0.85		0.551		0.512		2.027				WME		Water Meter

		UP6416		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6416		9/18/25 8:10		3731'42.4243"N		796'20.5356"W		216.504		1229069.613		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		29.707		100		1		12		14.585		-2.444		-10.616		Yes		9/18/25 8:10		RTK		30		1.04		0.54		0.89		10639		-1339		Yes		RTK		3D		1		2060		1.157		0.512		0.472		2.531				WME		Water Meter

		UP6417		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6417		9/18/25 8:14		3731'44.8279"N		796'15.9390"W		442.979		1229512.592		0		UNKNOWN		41		65536		CLASSIC		OMNI PEAK		132		22.148		100		7		11		17.495		-2.732		-49.665		Yes		9/18/25 8:14		RTK		31		1.03		0.54		0.88		10690		-1339		Yes		RTK		3D		0.8		2060		0.759		0.512		0.433		1.83				WME		Water Meter

		UP6418		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6418		9/18/25 8:14		3731'44.9755"N		796'15.6627"W		26.801		1229539.393		0		UNKNOWN		17		65536		CLASSIC		OMNI PEAK		132		22.964		100		7		10		13.974		-2.983		-61.571		Yes		9/18/25 8:14		RTK		30		1.03		0.54		0.88		10692		-1339		Yes		RTK		3D		0.6		2060		0.472		0.433		0.394		1.282				WME		Water Meter

		UP6419		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6419		9/18/25 8:16		3731'46.1251"N		796'13.4323"W		214.012		1229753.405		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		39.471		100		2		11		13.17		0.6		-42.724		Yes		9/18/25 8:16		RTK		31		1.02		0.54		0.87		10721		-1339		Yes		RTK		3D		0.4		2060		0.591		0.472		0.394		1.513				WME		Water Meter

		UP6420		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6420		9/18/25 8:18		3731'48.0776"N		796'9.6864"W		360.648		1230114.053		0		UNKNOWN		98		65536		CLASSIC		OMNI PEAK		132		24.476		100		-6		9		21.371		-9.017		40.937		Yes		9/18/25 8:18		RTK		30		1.01		0.54		0.86		10736		-1339		Yes		RTK		3D		1.2		2060		1.157		0.948		0.63		2.992				WME		Water Meter

		UP6421		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6421		9/18/25 8:21		3731'49.9987"N		796'5.6946"W		375.663		1230489.715		0		UNKNOWN		76		65536		CLASSIC		OMNI PEAK		132		100		100		-21		10		8.537		4.264		41.57		Yes		9/18/25 8:21		RTK		30		1.01		0.55		0.85		10759		-1339		Yes		RTK		3D		0.6		2060		0.759		0.472		0.433		1.787				WME		Water Meter

		UP6422		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6422		9/18/25 8:23		3731'51.2980"N		796'3.1002"W		246.863		1230736.579		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		132		60.709		100		5		11		13.801		-2.249		-2.777		Yes		9/18/25 8:23		RTK		30		1		0.55		0.84		10735		-1339		Yes		RTK		3D		1		2060		0.433		0.366		0.394		1.134				WME		Water Meter

		UP6423		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6423		9/18/25 8:26		3731'56.3465"N		795'52.0148"W		1028.447		1231765.025		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		132		72.462		100		-5		9		10.332		2.289		58.49		Yes		9/18/25 8:26		RTK		31		0.98		0.54		0.82		10821		-1339		Yes		RTK		3D		0.4		2060		1.05		0.591		0.512		2.409				WME		Water Meter

		UP6424		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6424		9/18/25 8:27		3731'57.1431"N		795'51.1678"W		105.708		1231870.733		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		18.431		100		0		11		13.544		0.666		-35.599		Yes		9/18/25 8:27		RTK		31		0.97		0.54		0.81		10830		-1339		Yes		RTK		3D		1.2		2060		0.591		0.433		0.394		1.465				WME		Water Meter

		UP6425		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6425		9/18/25 8:29		3731'59.0486"N		795'50.3134"W		205.17		1232075.903		0		UNKNOWN		16		65536		CLASSIC		OMNI PEAK		132		78.336		100		3		13		13.795		1.399		5.794		Yes		9/18/25 8:29		RTK		31		0.96		0.54		0.8		10699		-1339		Yes		RTK		3D		1		2060		0.759		0.551		0.433		1.875				WME		Water Meter

		UP6426		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6426		9/18/25 8:31		3731'58.3234"N		795'46.5771"W		309.459		1232385.361		0		UNKNOWN		714		65536		CLASSIC		OMNI PEAK		132		21.314		100		5		11		11.601		-3.739		-1.386		Yes		9/18/25 8:31		RTK		32		0.95		0.54		0.79		10815		-1339		Yes		RTK		3D		1		2060		0.672		0.551		0.472		1.738				WME		Water Meter

		UP6427		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6427		9/18/25 8:36		3731'14.6300"N		794'59.0694"W		0		1232385.361		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		18.135		100		-5		10		14.114		1.817		39.628		Yes		9/18/25 8:36		RTK		32		1.05		0.58		0.87		11193		-1340		Yes		RTK		3D		0.6		2060		1.05		0.759		0.551		2.59				WME		Water Meter

		UP6428		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6428		9/18/25 8:41		3731'56.4027"N		795'22.1564"W		0		1232385.361		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		4.278		100		0		13		11.705		0.545		-40.728		Yes		9/18/25 8:41		RTK		31		1.03		0.58		0.85		10918		-1340		Yes		RTK		3D		0.4		2060		1.05		0.591		0.512		2.409				WME		Water Meter

		UP6429		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6429		9/18/25 8:46		3731'59.3388"N		795'55.7670"W		2720.348		1235105.709		0		UNKNOWN		53		65536		CLASSIC		OMNI PEAK		132		100		100		2		7		16.421		-3.328		-69.661		Yes		9/18/25 8:46		RTK		31		1.02		0.59		0.83		10794		-1339		Yes		RTK		3D		0.6		2060		1.913		0.759		0.866		4.117				WME		Water Meter

		UP6430		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6430		9/18/25 8:48		3731'59.4432"N		795'58.0505"W		184.014		1235289.723		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		12.475		100		-17		10		12.411		1.803		-76.033		Yes		9/18/25 8:48		RTK		31		1.01		0.59		0.82		10840		-1339		Yes		RTK		3D		1		2060		0.472		0.362		0.394		1.191				WME		Water Meter

		UP6431		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6431		9/18/25 8:51		3731'57.7047"N		795'58.5941"W		181.713		1235471.435		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		11.876		100		13		6		20.316		-0.775		38.831		Yes		9/18/25 8:51		RTK		30		1.17		0.65		0.98		10780		-1339		Yes		RTK		3D		0.8		2060		0.948		0.672		0.63		2.323				WME		Water Meter

		UP6432		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6432		9/18/25 8:53		3731'54.4395"N		796'3.7793"W		532.678		1236004.113		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		132		73.363		100		-2		8		15.641		-0.453		-24.682		Yes		9/18/25 8:53		FLOAT RTK		30		1.09		0.63		0.9		10680		-1339		Yes		FLOAT RTK		3D		0.8		2060		16.565		15.645		2.756		45.57				WME		Water Meter

		UP6433		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6433		9/18/25 9:04		3733'8.7551"N		797'43.0743"W		0		1236004.113		0		UNKNOWN		16		65536		CLASSIC		OMNI PEAK		132		40.836		100		-7		7		16.292		-0.267		26.485		Yes		9/18/25 9:04		RTK		28		1.06		0.62		0.86		10594		-1339		Yes		RTK		3D		0.6		2060		0.472		0.366		0.394		1.195				WME		Water Meter

		UP6434		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6434		9/18/25 9:16		3730'27.2837"N		797'17.4894"W		0		1236004.113		0		UNKNOWN		393		65536		CLASSIC		OMNI PEAK		132		15.629		100		-10		7		14.677		-0.579		-30.983		Yes		9/18/25 9:16		RTK		30		1		0.58		0.81		8362		-1339		Yes		RTK		3D		1		2060		0.85		0.512		0.433		1.985				WME		Water Meter

		UP6435		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6435		9/18/25 9:19		3730'25.4454"N		797'18.1161"W		193.196		1236197.31		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		17.043		100		0		11		23.397		-5.121		-29.164		Yes		9/18/25 9:19		RTK		27		0.95		0.57		0.76		8314		-1339		Yes		RTK		3D		1.6		2060		0.85		0.672		0.591		2.168				WME		Water Meter

		UP6436		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6436		9/18/25 9:25		3730'17.8669"N		797'24.7163"W		934.485		1237131.794		0		UNKNOWN		38		65536		CLASSIC		OMNI PEAK		132		26.55		100		8		9		15.795		1.289		-79.864		Yes		9/18/25 9:25		RTK		27		1.24		0.69		1.03		9204		-1339		Yes		RTK		3D		1		2060		0.948		0.433		0.394		2.084				WME		Water Meter

		UP6437		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6437		9/18/25 9:25		3730'17.8677"N		797'24.6854"W		2.487		1237134.281		0		UNKNOWN		71		65536		CLASSIC		OMNI PEAK		132		32.055		100		-3		9		10.992		-2.209		31.32		Yes		9/18/25 9:25		RTK		27		1.24		0.69		1.03		9200		-1339		Yes		RTK		3D		1.8		2060		0.948		0.512		0.472		2.154				WME		Water Meter

		UP6438		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6438		9/18/25 9:28		3730'12.2198"N		797'30.0150"W		715.752		1237850.033		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		3.655		100		3		7		11.301		0.342		-31.792		Yes		9/18/25 9:28		RTK		29		1.3		0.73		1.08		9456		-1339		Yes		RTK		3D		1		2060		1.512		1.05		0.709		3.681				WME		Water Meter

		UP6439		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6439		9/18/25 9:33		3730'3.7656"N		797'30.5994"W		858.974		1238709.007		0		UNKNOWN		57		65536		CLASSIC		OMNI PEAK		132		29.897		100		-15		7		16.169		-1.743		-26.499		Yes		9/18/25 9:33		RTK		28		1.3		0.72		1.09		8936		-1339		Yes		RTK		3D		1.4		2060		0.948		0.672		0.551		2.323				WME		Water Meter

		UP6440		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6440		9/18/25 9:35		3730'0.6193"N		797'29.7657"W		326.171		1239035.178		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		26.451		100		-14		11		11.717		-2.287		-60.313		Yes		9/18/25 9:35		RTK		28		1.3		0.72		1.09		8720		-1339		Yes		RTK		3D		0.6		2060		0.948		0.672		0.551		2.323				WME		Water Meter

		UP6441		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6441		9/18/25 9:40		3729'39.7363"N		797'35.0756"W		2161.261		1241196.439		0		UNKNOWN		42		65536		CLASSIC		OMNI PEAK		132		97.422		100		-3		8		15.44		-0.153		-42.211		Yes		9/18/25 9:40		RTK		29		1.3		0.71		1.09		9677		-1339		Yes		RTK		3D		0.4		2060		0.433		0.39		0.394		1.165				WME		Water Meter

		UP6442		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6442		9/18/25 9:45		3729'32.2713"N		797'51.2535"W		1506.421		1242702.859		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		132		59.651		100		6		9		13.143		-1.093		-28.696		Yes		9/18/25 9:45		RTK		29		1.18		0.67		0.98		9867		-1339		Yes		RTK		3D		0.8		2060		0.672		0.551		0.433		1.738				WME		Water Meter

		UP6443		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6443		9/18/25 9:48		3729'32.1922"N		797'52.6298"W		111.078		1242813.937		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		132		50.25		100		5		5		7.327		-1.922		70.578		Yes		9/18/25 9:48		RTK		28		1.25		0.66		1.06		9868		-1339		Yes		RTK		3D		0.6		2135		0.672		0.591		0.472		1.789				WME		Water Meter

		UP6444		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6444		9/18/25 9:54		3729'27.4505"N		797'28.3483"W		2012.869		1244826.806		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		132		55.479		100		2		8		10.25		1.31		-55.832		Yes		9/18/25 9:54		RTK		29		1.1		0.63		0.91		10264		-1339		Yes		RTK		3D		1.4		2141		1.157		0.948		0.591		2.992				WME		Water Meter

		UP6445		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6445		9/18/25 9:56		3729'25.4350"N		797'28.2119"W		204.766		1245031.572		0		UNKNOWN		14		65536		CLASSIC		OMNI PEAK		132		89.059		100		5		11		11.957		1.828		-16.798		Yes		9/18/25 9:56		RTK		29		1.1		0.62		0.9		10299		-1339		Yes		RTK		3D		1		2141		1.157		0.85		0.551		2.873				WME		Water Meter

		UP6446		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6446		9/18/25 9:59		3729'12.4337"N		797'24.7605"W		1347.93		1246379.502		0		UNKNOWN		17		65536		CLASSIC		OMNI PEAK		132		40.445		100		1		11		17.303		0.906		-20.772		Yes		9/18/25 9:59		RTK		29		1.09		0.62		0.9		10315		-1339		Yes		RTK		3D		0.8		2141		1.27		1.05		0.591		3.296				WME		Water Meter

		UP6447		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6447		9/18/25 10:00		3729'11.6756"N		797'25.5817"W		101.418		1246480.92		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		132		6.839		100		6		12		12.415		-6.881		12.207		Yes		9/18/25 10:00		RTK		29		1.09		0.62		0.9		10209		-1339		Yes		RTK		3D		1.4		2141		0.948		0.591		0.512		2.233				WME		Water Meter

		UP6448		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6448		9/18/25 10:02		3729'10.8886"N		797'26.3952"W		103.257		1246584.176		0		UNKNOWN		27		65536		CLASSIC		OMNI PEAK		140		26.205		100		2		11		14.763		-1.788		45.638		Yes		9/18/25 10:02		RTK		28		1.09		0.62		0.9		10110		-1339		Yes		RTK		3D		1.4		2141		0.512		0.394		0.394		1.291				WME		Water Meter

		UP6449		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6449		9/18/25 10:04		3729'9.8974"N		797'26.4440"W		100.636		1246684.812		0		UNKNOWN		30		65536		CLASSIC		OMNI PEAK		140		14.169		100		2		10		14.444		-0.186		-53.085		Yes		9/18/25 10:04		RTK		29		1.09		0.61		0.9		10031		-1339		Yes		RTK		3D		0.8		2141		1.64		1.27		0.709		4.15				WME		Water Meter

		UP6450		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6450		9/18/25 10:04		3729'10.3693"N		797'25.9376"W		62.883		1246747.695		0		UNKNOWN		51		65536		CLASSIC		OMNI PEAK		140		39.178		100		45		4		10.79		1.182		18.958		Yes		9/18/25 10:04		FLOAT RTK		29		1.09		0.61		0.9		10047		-1339		Yes		FLOAT RTK		3D		0.6		2141		20.246		17.301		2.874		53.263				WME		Water Meter

		UP6451		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6451		9/18/25 10:05		3729'12.4776"N		797'23.6553"W		281.961		1247029.656		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		25.935		100		4		8		9.872		1.312		14.339		Yes		9/18/25 10:05		RTK		29		1.08		0.61		0.89		10383		-1339		Yes		RTK		3D		0.8		2141		0.948		0.85		0.512		2.546				WME		Water Meter

		UP6452		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6452		9/18/25 10:07		3729'13.5789"N		797'21.1956"W		227.349		1247257.006		0		UNKNOWN		21		65536		CLASSIC		OMNI PEAK		140		46.332		100		-12		6		9.529		-0.779		-17.48		Yes		9/18/25 10:07		RTK		30		1.08		0.61		0.89		10514		-1339		Yes		RTK		3D		1		2141		2.058		1.388		0.669		4.965				WME		Water Meter

		UP6453		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6453		9/18/25 10:58		3732'31.2453"N		794'36.7709"W		0		1247257.006		0		UNKNOWN		17		65536		CLASSIC		OMNI PEAK		140		10.862		100		-1		12		10.959		-1.747		18.095		Yes		9/18/25 10:58		RTK		25		1.11		0.62		0.92		10170		-1340		Yes		RTK		3D		2		2222		0.472		0.433		0.394		1.282				WME		Water Meter

		UP6454		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6454		9/18/25 10:59		3732'32.0259"N		794'36.9010"W		79.884		1247336.889		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.302		100		-8		3		10.588		-0.854		5.142		Yes		9/18/25 10:59		RTK		26		1.13		0.62		0.94		10155		-1340		Yes		RTK		3D		1.6		2222		0.948		0.759		0.591		2.427				WME		Water Meter

		UP6455		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6455		9/18/25 11:05		3732'57.1282"N		793'49.2977"W		0		1247336.889		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		12.619		100		2		8		19.152		-6.304		-54.54		Yes		9/18/25 11:05		RTK		28		1.02		0.57		0.84		9403		-1340		Yes		RTK		3D		0.8		2222		0.591		0.512		0.433		1.563				WME		Water Meter

		UP6456		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6456		9/18/25 11:10		3732'33.0256"N		792'38.9834"W		0		1247336.889		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		18.255		100		6		10		9.922		-1.074		-8.926		Yes		9/18/25 11:11		RTK		31		1.02		0.57		0.85		10348		-1341		Yes		RTK		3D		0.8		2222		0.551		0.433		0.433		1.402				WME		Water Meter

		UP6457		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6457		9/18/25 11:17		3733'27.3131"N		791'35.0652"W		0		1247336.889		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		5.694		100		-12		8		14.467		-1.553		-70.636		Yes		9/18/25 11:17		RTK		30		1.03		0.57		0.86		9806		-1341		Yes		RTK		3D		1.4		2222		1.05		0.591		0.551		2.409				WME		Water Meter

		UP6458		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6458		9/18/25 11:17		3733'27.2295"N		791'35.1201"W		9.569		1247346.458		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		2.999		100		-9		8		14.7		-1.044		-4.96		Yes		9/18/25 11:17		RTK		30		1.03		0.57		0.86		9807		-1341		Yes		RTK		3D		0.6		2222		0.591		0.472		0.433		1.513				WME		Water Meter

		UP6459		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6459		9/18/25 11:25		3733'5.5285"N		792'44.4485"W		0		1247346.458		0		UNKNOWN		37		65536		CLASSIC		OMNI PEAK		140		12.444		100		4		9		14.097		-1.891		-57.255		Yes		9/18/25 11:25		FLOAT RTK		31		1.04		0.56		0.87		9196		-1341		Yes		FLOAT RTK		3D		1		2222		2.577		2.577		0.512		7.288				WME		Water Meter

		UP6460		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6460		9/18/25 11:29		3733'3.3502"N		792'49.4102"W		456.174		1247802.632		0		UNKNOWN		754		65536		CLASSIC		OMNI PEAK		140		16.594		100		28		5		14.925		-2.795		52.916		Yes		9/18/25 11:29		RTK		30		1.13		0.61		0.95		9232		-1341		Yes		RTK		3D		0.6		2222		0.759		0.551		0.551		1.875				WME		Water Meter

		UP6461		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6461		9/18/25 11:29		3733'3.3438"N		792'49.3355"W		6.043		1247808.674		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		9.036		100		23		7		13.604		-1.141		28.22		Yes		9/18/25 11:29		RTK		30		1.13		0.61		0.95		9237		-1341		Yes		RTK		3D		0.4		2222		1.05		0.591		0.63		2.409				WME		Water Meter

		UP6462		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6462		9/18/25 11:32		3733'16.9496"N		793'16.7311"W		2600.046		1250408.72		0		UNKNOWN		28		65536		CLASSIC		OMNI PEAK		140		10.728		100		-1		12		7.199		1.077		-31.773		Yes		9/18/25 11:32		FLOAT RTK		29		1.22		0.62		1.05		9599		-1340		Yes		FLOAT RTK		3D		0.6		2222		4.049		2.761		0.669		9.802				WME		Water Meter

		UP6463		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		6463		9/18/25 12:37		3725'12.0582"N		797'54.3985"W		0		1250408.72		0		UNKNOWN		35		65536		CLASSIC		OMNI PEAK		140		100		100		-14		5		15.66		-3.832		56.549		Yes		9/18/25 12:37		GPS SPS VALID		22		1.28		0.68		1.09		9216		-1338		Yes		AUTONOMOUS		3D		0		0		90.945		56.299		70.866		213.921				WME		Water Meter

		UP6464		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		6464		9/18/25 12:38		3725'12.0154"N		797'54.4024"W		4.351		1250413.071		0		UNKNOWN		45		65536		CLASSIC		OMNI PEAK		140		63.479		100		-15		7		20.826		-3.933		56.399		Yes		9/18/25 12:38		RTK		24		1.43		0.75		1.22		9089		-1338		Yes		RTK		3D		4.2		2453		4.853		1.913		1.102		10.433				WME		Water Meter

		UP6465		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6465		9/18/25 12:39		3725'12.0171"N		797'54.3938"W		0.714		1250413.786		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		93.405		100		-17		9		17.376		-3.287		-61.305		Yes		9/18/25 12:39		FLOAT RTK		27		1.34		0.67		1.16		9091		-1338		Yes		FLOAT RTK		3D		1.2		2453		6.81		3.681		0.748		15.483				WME		Water Meter

		UP6466		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6466		9/18/25 12:42		3725'10.1197"N		797'49.6330"W		429.182		1250842.967		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		5.488		100		38		7		9.582		-0.457		79.17		Yes		9/18/25 12:42		RTK		31		1.15		0.57		0.99		9038		-1338		Yes		RTK		3D		0.6		2453		1.157		0.551		0.669		2.564				WME		Water Meter

		UP6467		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6467		9/18/25 12:43		3725'10.5916"N		797'49.2260"W		58.027		1250900.994		0		UNKNOWN		228		65536		CLASSIC		OMNI PEAK		140		100		100		34		6		12.474		-1.317		49.7		Yes		9/18/25 12:43		RTK		32		1.21		0.63		1.03		9054		-1338		Yes		RTK		3D		1.2		2453		1.05		0.433		0.512		2.271				WME		Water Meter

		UP6468		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6468		9/18/25 12:46		3725'20.1617"N		797'43.4301"W		1077.359		1251978.353		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		6.564		100		14		7		11.836		1.038		58.444		Yes		9/18/25 12:46		RTK		32		1.11		0.57		0.96		9327		-1339		Yes		RTK		3D		1.4		2453		0.591		0.394		0.433		1.42				WME		Water Meter

		UP6469		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6469		9/18/25 12:49		3725'21.3026"N		797'34.7401"W		709.648		1252688.001		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		15.634		100		-15		8		13.766		-1.364		-56.646		Yes		9/18/25 12:49		RTK		32		1.1		0.56		0.94		9373		-1339		Yes		RTK		3D		0.8		2453		1.512		0.759		0.748		3.383				WME		Water Meter

		UP6470		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6470		9/18/25 12:53		3725'24.0779"N		797'28.7030"W		562.02		1253250.021		0		UNKNOWN		109		65536		CLASSIC		OMNI PEAK		140		100		100		-15		8		16.721		-1.668		27		Yes		9/18/25 12:53		FLOAT RTK		30		1.22		0.67		1.02		9543		-1339		Yes		FLOAT RTK		3D		1		2453		20.246		12.7		1.89		47.799				WME		Water Meter

		UP6471		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6471		9/18/25 12:56		3725'18.8534"N		797'11.6381"W		1473.532		1254723.553		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		100		5		8		12.531		1.306		7.564		Yes		9/18/25 12:56		RTK		32		1.13		0.56		0.98		9750		-1339		Yes		RTK		3D		1.2		2453		1.157		0.551		0.591		2.564				WME		Water Meter

		UP6472		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6472		9/18/25 12:59		3725'13.4124"N		796'57.6309"W		1256.331		1255979.883		0		UNKNOWN		42		65536		CLASSIC		OMNI PEAK		140		70.367		100		0		10		14.983		-2.305		50.543		Yes		9/18/25 12:59		RTK		32		1.13		0.56		0.98		9194		-1339		Yes		RTK		3D		0.8		2453		0.551		0.394		0.433		1.355				WME		Water Meter

		UP6473		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6473		9/18/25 13:00		3725'12.1656"N		796'55.8324"W		192.352		1256172.235		0		UNKNOWN		23		65536		CLASSIC		OMNI PEAK		140		100		100		6		9		11.956		-0.772		28.336		Yes		9/18/25 13:00		RTK		32		1.11		0.54		0.97		8953		-1339		Yes		RTK		3D		0.6		2453		0.472		0.331		0.394		1.153				WME		Water Meter

		UP6474		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6474		9/18/25 13:06		3725'12.8179"N		797'17.0943"W		1714.386		1257886.621		0		UNKNOWN		207		65536		CLASSIC		OMNI PEAK		140		100		100		0		12		18.213		0.013		-24.448		Yes		9/18/25 13:06		RTK		32		1.04		0.53		0.9		9461		-1339		Yes		RTK		3D		1.6		2453		0.948		0.472		0.512		2.118				WME		Water Meter

		UP6475		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6475		9/18/25 13:07		3725'1.1494"N		797'16.6089"W		1184.425		1259071.047		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		22.504		100		3		12		12.794		-1.143		-44.047		Yes		9/18/25 13:07		RTK		32		1.07		0.54		0.92		9461		-1339		Yes		RTK		3D		1.2		2453		0.948		0.551		0.551		2.192				WME		Water Meter

		UP6476		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6476		9/18/25 13:12		3724'18.7914"N		797'12.7490"W		0		1259071.047		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		45.002		100		1		10		6.323		-2.208		11.449		Yes		9/18/25 13:12		RTK		31		1.14		0.58		0.98		8969		-1339		Yes		RTK		3D		0.8		2453		2.058		0.948		0.827		4.531				WME		Water Meter

		UP6477		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6477		9/18/25 13:25		3724'30.3080"N		795'29.6279"W		0		1259071.047		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		37.218		100		2		12		16.327		-0.394		-69.65		Yes		9/18/25 13:25		RTK		32		1.02		0.49		0.89		7988		-1339		Yes		RTK		3D		1		2453		0.433		0.378		0.394		1.15				WME		Water Meter

		UP6478		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6478		9/18/25 13:35		3725'32.7247"N		797'29.3689"W		0		1259071.047		0		UNKNOWN		54		65536		CLASSIC		OMNI PEAK		140		79.59		93		3		11		12.214		1.356		-49.209		Yes		9/18/25 13:35		RTK		32		1.02		0.51		0.89		9517		-1339		Yes		RTK		3D		1		2453		0.551		0.433		0.394		1.402				WME		Water Meter

		UP6479		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6479		9/18/25 13:36		3725'33.2039"N		797'27.9131"W		126.962		1259198.008		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		100		100		1		8		16.167		-1.351		8.291		Yes		9/18/25 13:36		RTK		32		1.06		0.54		0.91		9548		-1339		Yes		RTK		3D		1		2453		0.672		0.512		0.394		1.689				WME		Water Meter

		UP6480		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6480		9/18/25 13:38		3725'36.4944"N		797'29.6100"W		360.729		1259558.738		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		100		100		-3		6		13.255		-1.852		-89.073		Yes		9/18/25 13:38		RTK		32		1.02		0.51		0.88		9569		-1339		Yes		RTK		3D		0.8		2453		2.858		1.388		0.866		6.355				WME		Water Meter

		UP6481		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6481		9/18/25 13:40		3725'40.9637"N		797'30.9147"W		465.442		1260024.18		0		UNKNOWN		54		65536		CLASSIC		OMNI PEAK		140		100		100		-5		11		13.76		0.978		18.219		Yes		9/18/25 13:40		RTK		32		1.01		0.53		0.86		9550		-1339		Yes		RTK		3D		1		2453		0.512		0.343		0.394		1.232				WME		Water Meter

		UP6482		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6482		9/18/25 13:42		3725'43.9332"N		797'29.7341"W		315.91		1260340.09		0		UNKNOWN		15		65536		CLASSIC		OMNI PEAK		140		100		100		-1		13		14.739		0.477		10.829		Yes		9/18/25 13:42		RTK		32		0.97		0.49		0.84		9398		-1339		Yes		RTK		3D		0.8		2453		0.759		0.512		0.433		1.83				WME		Water Meter

		UP6483		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6483		9/18/25 13:43		3725'44.8560"N		797'29.5449"W		94.854		1260434.944		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		100		1		12		11.891		0.479		1.63		Yes		9/18/25 13:43		RTK		32		0.97		0.49		0.84		9389		-1339		Yes		RTK		3D		1		2453		0.672		0.551		0.472		1.738				WME		Water Meter

		UP6484		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6484		9/18/25 13:46		3725'47.4068"N		797'27.8514"W		292.541		1260727.485		0		UNKNOWN		86		65536		CLASSIC		OMNI PEAK		140		49.064		100		-5		10		18.437		-2.356		-66.087		Yes		9/18/25 13:46		RTK		32		0.96		0.49		0.83		9295		-1339		Yes		RTK		3D		0.8		2453		0.472		0.335		0.394		1.158				WME		Water Meter

		UP6485		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6485		9/18/25 13:47		3725'47.8113"N		797'27.5361"W		48.259		1260775.744		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		50.874		100		7		9		14.151		-0.01		80.758		Yes		9/18/25 13:47		RTK		32		0.96		0.49		0.83		9285		-1339		Yes		RTK		3D		1		2453		0.85		0.512		0.472		1.985				WME		Water Meter

		UP6486		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6486		9/18/25 13:51		3725'51.3384"N		797'17.9331"W		852.369		1261628.113		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		16.478		100		-11		10		17.852		-1.394		29.326		Yes		9/18/25 13:51		RTK		32		1.04		0.55		0.89		9401		-1339		Yes		RTK		3D		1		2453		0.948		0.472		0.433		2.118				WME		Water Meter

		UP6487		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6487		9/18/25 13:55		3725'42.7520"N		797'18.2837"W		871.546		1262499.659		0		UNKNOWN		18		65536		CLASSIC		OMNI PEAK		140		100		100		7		9		15.007		-0.323		6.322		Yes		9/18/25 13:55		RTK		32		1.01		0.53		0.86		8784		-1339		Yes		RTK		3D		0.6		2453		0.512		0.378		0.394		1.272				WME		Water Meter

		UP6488		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6488		9/18/25 13:55		3725'42.7342"N		797'18.3017"W		2.32		1262501.979		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		49.949		100		-38		12		19.79		3.62		35.742		Yes		9/18/25 13:55		RTK		32		1.01		0.54		0.86		8784		-1339		Yes		RTK		3D		1		2453		0.472		0.433		0.394		1.282				WME		Water Meter

		UP6489		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6489		9/18/25 13:57		3725'44.8698"N		797'11.6308"W		579.454		1263081.433		0		UNKNOWN		109		65536		CLASSIC		OMNI PEAK		140		47.859		100		9		8		16.633		-0.716		48.579		Yes		9/18/25 13:57		RTK		32		0.96		0.49		0.83		9087		-1339		Yes		RTK		3D		1		2453		0.433		0.354		0.394		1.119				WME		Water Meter

		UP6490		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6490		9/18/25 13:58		3725'44.9951"N		797'11.4128"W		21.687		1263103.119		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		-6		11		14.114		-0.933		-53.023		Yes		9/18/25 13:58		RTK		32		1.01		0.52		0.87		9101		-1339		Yes		RTK		3D		0.6		2453		0.948		0.551		0.472		2.192				WME		Water Meter

		UP6491		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6491		9/18/25 14:01		3725'56.3229"N		797'14.3951"W		1174.049		1264277.168		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		100		100		-3		10		14.413		-1.282		51.152		Yes		9/18/25 14:01		RTK		32		1.04		0.53		0.9		9355		-1339		Yes		RTK		3D		1.2		2453		0.512		0.343		0.394		1.232				WME		Water Meter

		UP6492		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6492		9/18/25 14:05		3725'55.8309"N		797'22.6889"W		669.998		1264947.167		0		UNKNOWN		14		65536		CLASSIC		OMNI PEAK		140		74.942		100		-1		11		14.468		1.073		-76.305		Yes		9/18/25 14:05		RTK		31		1.11		0.56		0.95		9333		-1339		Yes		RTK		3D		1.2		2453		0.672		0.433		0.433		1.599				WME		Water Meter

		UP6493		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6493		9/18/25 14:06		3725'55.0189"N		797'23.2595"W		94.336		1265041.503		0		UNKNOWN		55		65536		CLASSIC		OMNI PEAK		140		100		100		15		9		13.678		-0.169		35.948		Yes		9/18/25 14:06		RTK		30		1.1		0.57		0.94		9306		-1339		Yes		RTK		3D		1.6		2453		1.27		0.551		0.591		2.77				WME		Water Meter

		UP6494		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6494		9/18/25 14:08		3725'57.0930"N		797'21.7823"W		241.741		1265283.244		0		UNKNOWN		230		65536		CLASSIC		OMNI PEAK		140		38.756		100		-10		8		12.777		2.261		57.266		Yes		9/18/25 14:08		RTK		32		1.08		0.55		0.92		9381		-1339		Yes		RTK		3D		0.8		2453		0.672		0.394		0.394		1.558				WME		Water Meter

		UP6495		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6495		9/18/25 14:08		3725'57.0712"N		797'21.7985"W		2.572		1265285.816		0		UNKNOWN		89		65536		CLASSIC		OMNI PEAK		140		100		100		1		12		14.84		0.57		-35.963		Yes		9/18/25 14:08		RTK		31		1.08		0.55		0.92		9381		-1339		Yes		RTK		3D		1.8		2453		1.913		1.05		0.787		4.365				WME		Water Meter

		UP6496		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6496		9/18/25 14:10		3726'1.8358"N		797'19.7318"W		511.242		1265797.058		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		49.659		100		-13		13		12.131		-1.262		-66.763		Yes		9/18/25 14:10		RTK		32		1.09		0.57		0.93		9594		-1339		Yes		RTK		3D		1.6		2453		2.207		1.05		0.748		4.889				WME		Water Meter

		UP6497		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6497		9/18/25 14:12		3726'3.7728"N		797'17.7246"W		254.479		1266051.537		0		UNKNOWN		35		65536		CLASSIC		OMNI PEAK		140		100		100		-3		11		10.023		0.336		50.09		Yes		9/18/25 14:12		FLOAT RTK		32		1.07		0.56		0.91		9661		-1339		Yes		FLOAT RTK		3D		0.6		2453		12.148		3.681		1.063		25.386				WME		Water Meter

		UP6498		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6498		9/18/25 14:16		3726'0.8207"N		797'20.9207"W		394.949		1266446.486		0		UNKNOWN		92		65536		CLASSIC		OMNI PEAK		140		98.245		100		10		10		14.662		4.01		-67.352		Yes		9/18/25 14:17		RTK		32		0.98		0.51		0.84		9548		-1339		Yes		RTK		3D		1		2453		1.27		1.05		0.709		3.296				WME		Water Meter

		UP6499		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6499		9/18/25 14:19		3726'2.5107"N		797'20.7609"W		171.928		1266618.413		0		UNKNOWN		95		65536		CLASSIC		OMNI PEAK		140		32.055		100		-49		6		9.25		-0.088		87.268		Yes		9/18/25 14:19		RTK		32		0.98		0.51		0.83		9620		-1339		Yes		RTK		3D		1.6		2453		1.05		0.551		0.551		2.372				WME		Water Meter

		UP6500		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6500		9/18/25 14:35		3726'9.6012"N		797'21.8405"W		724.575		1267342.989		0		UNKNOWN		49		65536		CLASSIC		OMNI PEAK		140		27.14		100		-42		8		11.986		-1.626		-89.772		Yes		9/18/25 14:35		RTK		31		0.98		0.52		0.84		9775		-1339		Yes		RTK		3D		1		2533		0.394		0.327		0.394		1.023				WME		Water Meter

		UP6501		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6501		9/18/25 14:36		3726'9.5427"N		797'21.8248"W		6.064		1267349.053		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		9.125		100		-10		11		8.787		2.314		20.695		Yes		9/18/25 14:36		RTK		31		0.98		0.52		0.84		9774		-1339		Yes		RTK		3D		0.8		2533		0.394		0.339		0.394		1.039				WME		Water Meter

		UP6502		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6502		9/18/25 14:41		3726'12.6936"N		797'18.2588"W		429.764		1267778.817		0		UNKNOWN		51		65536		CLASSIC		OMNI PEAK		140		12.539		100		-17		10		9.636		0.905		80.677		Yes		9/18/25 14:41		RTK		31		1.06		0.55		0.91		9428		-1339		Yes		RTK		3D		1.4		2533		0.672		0.512		0.551		1.689				WME		Water Meter

		UP6503		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6503		9/18/25 14:44		3726'14.9962"N		797'21.8022"W		368.842		1268147.659		0		UNKNOWN		41		65536		CLASSIC		OMNI PEAK		140		23.986		100		2		12		11.735		-1.138		-72.574		Yes		9/18/25 14:44		RTK		32		1		0.53		0.85		9767		-1339		Yes		RTK		3D		1		2533		0.759		0.512		0.551		1.83				WME		Water Meter

		UP6504		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6504		9/18/25 15:03		3726'15.6563"N		797'8.8357"W		1046.632		1269194.29		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		3.329		100		-1		12		13.874		0.682		-27.173		Yes		9/18/25 15:03		RTK		32		0.94		0.5		0.79		9274		-1339		Yes		RTK		3D		1		2533		0.591		0.433		0.433		1.465				WME		Water Meter

		UP6505		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6505		9/18/25 15:05		3726'12.7151"N		797'9.9407"W		311.382		1269505.672		0		UNKNOWN		14		65536		CLASSIC		OMNI PEAK		140		28.645		100		-14		9		14.566		1.364		56.548		Yes		9/18/25 15:05		RTK		31		0.96		0.51		0.82		9081		-1339		Yes		RTK		3D		1		2533		0.472		0.354		0.394		1.181				WME		Water Meter

		UP6506		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6506		9/18/25 15:10		3726'22.6881"N		797'8.6582"W		1017.025		1270522.697		0		UNKNOWN		32		65536		CLASSIC		OMNI PEAK		140		16.698		100		-71		6		14.901		-2.387		-28.98		Yes		9/18/25 15:10		RTK		31		1.18		0.61		1.01		9648		-1339		Yes		RTK		3D		1.2		2533		2.362		0.759		0.669		4.962				WME		Water Meter

		UP6507		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6507		9/18/25 15:13		3726'23.9681"N		797'13.9541"W		445.915		1270968.612		0		UNKNOWN		39		65536		CLASSIC		OMNI PEAK		140		100		100		23		6		17.774		1.224		-2.532		Yes		9/18/25 15:13		RTK		32		1.06		0.55		0.91		9582		-1339		Yes		RTK		3D		0.6		2533		0.382		0.362		0.394		1.053				WME		Water Meter

		UP6508		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6508		9/19/25 7:15		3726'5.3456"N		797'33.0379"W		2435.671		1273404.283		0		UNKNOWN		156		65536		CLASSIC		OMNI PEAK		140		19.761		100		-12		8		15.449		-0.839		24.471		Yes		9/19/25 7:15		RTK		22		1.25		0.63		1.08		9408		-1339		Yes		RTK		3D		1.6		2817		0.433		0.343		0.394		1.104				WME		Water Meter

		UP6509		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6509		9/19/25 7:18		3726'4.7131"N		797'40.1054"W		572.93		1273977.213		0		UNKNOWN		64		65536		CLASSIC		OMNI PEAK		140		55.772		100		-10		7		14.893		1.722		17.093		Yes		9/19/25 7:18		RTK		27		1.02		0.54		0.86		9402		-1339		Yes		RTK		3D		1.2		2817		1.157		0.551		0.787		2.564				WME		Water Meter

		UP6510		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6510		9/19/25 7:19		3726'4.4135"N		797'40.5725"W		48.374		1274025.587		0		UNKNOWN		51		65536		CLASSIC		OMNI PEAK		140		16.827		100		-1		10		12.019		-2.925		-54.244		Yes		9/19/25 7:19		RTK		27		1.01		0.54		0.86		9381		-1339		Yes		RTK		3D		0.8		2817		2.207		1.05		0.984		4.889				WME		Water Meter

		UP6511		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6511		9/19/25 7:22		3725'56.5531"N		798'4.0625"W		2053.461		1276079.049		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		32.272		100		2		12		16.983		0.244		-3.823		Yes		9/19/25 7:22		RTK		31		1		0.54		0.84		8919		-1338		Yes		RTK		3D		0.6		2817		0.672		0.472		0.63		1.643				WME		Water Meter

		UP6512		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6512		9/19/25 7:30		3726'28.9145"N		797'11.4341"W		0		1276079.049		0		UNKNOWN		15		65536		CLASSIC		OMNI PEAK		140		100		100		-5		10		17.573		-4.066		18.638		Yes		9/19/25 7:30		RTK		31		1.15		0.6		0.98		9876		-1339		Yes		RTK		3D		0.6		2817		0.433		0.374		0.433		1.144				WME		Water Meter

		UP6513		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6513		9/19/25 7:40		3726'27.6684"N		797'13.4858"W		208.076		1276287.124		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		100		100		0		10		14.219		0.431		-28.244		Yes		9/19/25 7:40		RTK		31		1.05		0.58		0.88		9752		-1339		Yes		RTK		3D		0.8		2817		0.551		0.472		0.512		1.452				WME		Water Meter

		UP6514		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6514		9/19/25 7:40		3726'26.9089"N		797'13.5726"W		77.364		1276364.489		0		UNKNOWN		285		65536		CLASSIC		OMNI PEAK		140		24.709		100		63		6		11.915		0.288		23.043		Yes		9/19/25 7:40		RTK		31		1.11		0.6		0.93		9710		-1339		Yes		RTK		3D		1.4		2817		1.05		0.672		0.709		2.493				WME		Water Meter

		UP6515		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6515		9/19/25 7:52		3726'18.7553"N		797'20.2832"W		988.141		1277352.629		0		UNKNOWN		65		65536		CLASSIC		OMNI PEAK		140		17.515		100		-12		12		13.632		-0.252		76.578		Yes		9/19/25 7:52		RTK		30		1.19		0.62		1.02		9814		-1339		Yes		RTK		3D		0.8		2817		0.512		0.394		0.433		1.291				WME		Water Meter

		UP6516		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6516		9/19/25 8:00		3726'11.9707"N		797'25.9499"W		825.909		1278178.539		0		UNKNOWN		73		65536		CLASSIC		OMNI PEAK		140		100		100		6		1		10.238		-4.163		74.701		Yes		9/19/25 8:00		RTK		29		1.23		0.64		1.05		9958		-1339		Yes		RTK		3D		2.4		2817		0.759		0.512		0.512		1.83				WME		Water Meter

		UP6517		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6517		9/19/25 8:06		3725'29.9492"N		797'17.0585"W		0		1278178.539		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		1.715		100		3		8		26.779		2.567		-48.531		Yes		9/19/25 8:06		FLOAT RTK		31		1.09		0.6		0.91		8953		-1339		Yes		FLOAT RTK		3D		1.4		2817		6.442		5.154		0.984		16.499				WME		Water Meter

		UP6518		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6518		9/19/25 8:08		3725'29.5877"N		797'16.1844"W		79.403		1278257.942		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		15.013		100		50		6		9.534		1.137		-33.979		Yes		9/19/25 8:08		FLOAT RTK		29		1.09		0.6		0.91		8850		-1339		Yes		FLOAT RTK		3D		0.6		2817		4.233		3.681		0.709		11.22				WME		Water Meter

		UP6519		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6519		9/19/25 8:12		3725'32.6069"N		797'12.8742"W		406.125		1278664.066		0		UNKNOWN		116		65536		CLASSIC		OMNI PEAK		140		37.248		100		32		11		11.563		-2.351		11.012		Yes		9/19/25 8:12		RTK		30		1.08		0.61		0.89		8749		-1339		Yes		RTK		3D		0.8		2817		0.512		0.433		0.394		1.341				WME		Water Meter

		UP6520		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6520		9/19/25 8:16		3725'32.5023"N		797'16.7517"W		312.575		1278976.641		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		9.252		100		-97		11		13.067		2.845		-61.305		Yes		9/19/25 8:16		RTK		31		1.03		0.58		0.84		9040		-1339		Yes		RTK		3D		2		2817		0.551		0.472		0.433		1.452				WME		Water Meter

		UP6521		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6521		9/19/25 8:18		3725'32.4909"N		797'16.1093"W		51.768		1279028.409		0		UNKNOWN		66		65536		CLASSIC		OMNI PEAK		140		44.361		100		26		9		11.225		1.774		44.197		Yes		9/19/25 8:18		RTK		32		1.02		0.58		0.84		9004		-1339		Yes		RTK		3D		1.2		2817		0.37		0.307		0.394		0.962				WME		Water Meter

		UP6522		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6522		9/19/25 8:19		3725'31.9462"N		797'15.5271"W		72.481		1279100.89		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		7.107		100		31		7		13.033		-1.515		78.393		Yes		9/19/25 8:19		RTK		30		1.04		0.59		0.86		8959		-1339		Yes		RTK		3D		1		2817		0.472		0.394		0.394		1.23				WME		Water Meter

		UP6523		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6523		9/19/25 8:22		3725'34.3128"N		796'57.2865"W		1489.053		1280589.943		0		UNKNOWN		14		65536		CLASSIC		OMNI PEAK		140		40.809		100		8		13		2.868		2.458		52.257		Yes		9/19/25 8:22		RTK		31		0.99		0.56		0.81		8153		-1339		Yes		RTK		3D		2		2817		1.388		0.85		0.591		3.256				WME		Water Meter

		UP6524		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6524		9/19/25 8:26		3725'44.6955"N		796'34.2886"W		2131.288		1282721.231		0		UNKNOWN		55		65536		CLASSIC		OMNI PEAK		140		30.784		100		3		8		14.479		-5.632		8.708		Yes		9/19/25 8:26		RTK		31		0.98		0.56		0.8		9376		-1339		Yes		RTK		3D		1.2		2817		0.512		0.433		0.394		1.341				WME		Water Meter

		UP6525		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6525		9/19/25 8:29		3725'45.8957"N		796'18.7977"W		1253.906		1283975.137		0		UNKNOWN		161		65536		CLASSIC		OMNI PEAK		140		100		100		-29		12		16.553		1.973		-48.031		Yes		9/19/25 8:29		RTK		29		0.99		0.58		0.8		9873		-1339		Yes		RTK		3D		1.2		2817		1.27		0.85		0.63		3.057				WME		Water Meter

		UP6526		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6526		9/19/25 8:31		3725'45.8267"N		796'18.1497"W		52.669		1284027.806		0		UNKNOWN		27		65536		CLASSIC		OMNI PEAK		140		94.651		100		2		3		26.142		-0.849		-2.061		Yes		9/19/25 8:31		RTK		32		0.96		0.56		0.78		9866		-1339		Yes		RTK		3D		1		2817		0.512		0.394		0.394		1.291				WME		Water Meter

		UP6527		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6527		9/19/25 8:36		3725'33.4309"N		796'7.3523"W		1529.106		1285556.912		0		UNKNOWN		44		65536		CLASSIC		OMNI PEAK		140		10.267		100		0		11		10.879		1		10.237		Yes		9/19/25 8:36		RTK		32		0.94		0.55		0.76		10177		-1339		Yes		RTK		3D		1.2		2817		0.672		0.551		0.472		1.738				WME		Water Meter

		UP6528		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6528		9/19/25 8:37		3725'32.6632"N		796'7.0750"W		81.022		1285637.934		0		UNKNOWN		36		65536		CLASSIC		OMNI PEAK		140		12.175		100		-3		6		14.156		0.808		40.957		Yes		9/19/25 8:37		RTK		32		1.03		0.58		0.85		10172		-1339		Yes		RTK		3D		1.4		2817		0.672		0.512		0.472		1.689				WME		Water Meter

		UP6529		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6529		9/19/25 8:40		3725'46.7060"N		796'17.2926"W		1645.365		1287283.299		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.286		100		-63		9		11.886		2.288		-45.231		Yes		9/19/25 8:40		RTK		32		0.98		0.58		0.79		9897		-1339		Yes		RTK		3D		1.6		2817		2.522		1.64		0.906		6.018				WME		Water Meter

		UP6530		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6530		9/19/25 8:41		3725'47.0060"N		796'16.1459"W		97.266		1287380.565		0		UNKNOWN		71		65536		CLASSIC		OMNI PEAK		140		100		100		-16		12		10.538		-0.496		49.394		Yes		9/19/25 8:41		RTK		32		0.98		0.58		0.78		9847		-1339		Yes		RTK		3D		0.8		2817		0.948		0.591		0.512		2.233				WME		Water Meter

		UP6531		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6531		9/19/25 8:46		3725'47.9552"N		796'11.4754"W		388.395		1287768.96		0		UNKNOWN		203		65536		CLASSIC		OMNI PEAK		140		100		100		2		3		11.543		-0.895		-21.602		Yes		9/19/25 8:46		RTK		31		1.08		0.6		0.89		9874		-1339		Yes		RTK		3D		0.6		2817		1.774		0.948		0.709		4.023				WME		Water Meter

		UP6532		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6532		9/19/25 8:47		3725'48.3284"N		796'12.7285"W		107.826		1287876.786		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		15.527		100		-88		5		9.712		-5.464		-23.07		Yes		9/19/25 8:47		RTK		30		1.19		0.65		1.01		9769		-1339		Yes		RTK		3D		0.6		2817		0.759		0.472		0.472		1.787				WME		Water Meter

		UP6533		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6533		9/19/25 8:50		3725'52.9844"N		796'10.2534"W		512.718		1288389.504		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		20.812		100		3		10		6.177		-1.414		4.054		Yes		9/19/25 8:50		RTK		29		1.19		0.65		1		9956		-1339		Yes		RTK		3D		0.8		2817		0.85		0.672		0.591		2.168				WME		Water Meter

		UP6534		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6534		9/19/25 8:55		3725'54.7372"N		795'51.2693"W		1539.654		1289929.158		0		UNKNOWN		14		65536		CLASSIC		OMNI PEAK		140		41.499		100		3		10		13.359		-3.034		-8.868		Yes		9/19/25 8:55		RTK		31		1.06		0.6		0.87		9871		-1339		Yes		RTK		3D		0.4		2817		1.05		0.672		0.551		2.493				WME		Water Meter

		UP6535		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6535		9/19/25 8:59		3725'57.2467"N		795'50.5788"W		260.596		1290189.754		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		16.167		100		7		10		11.142		0.778		74.962		Yes		9/19/25 8:59		RTK		30		1.06		0.6		0.87		9942		-1339		Yes		RTK		3D		1		2817		0.672		0.512		0.472		1.689				WME		Water Meter

		UP6536		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6536		9/19/25 8:59		3725'57.2694"N		795'50.5555"W		2.966		1290192.72		0		UNKNOWN		25		65536		CLASSIC		OMNI PEAK		140		13.969		100		26		6		13.511		-3.405		-14.825		Yes		9/19/25 8:59		RTK		30		1.06		0.6		0.88		9944		-1339		Yes		RTK		3D		1.4		2817		0.433		0.378		0.394		1.15				WME		Water Meter

		UP6537		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6537		9/19/25 8:59		3725'57.3043"N		795'50.5375"W		3.832		1290196.552		0		UNKNOWN		25		65536		CLASSIC		OMNI PEAK		140		19.164		100		3		8		13.885		-1.28		-31.846		Yes		9/19/25 8:59		RTK		30		1.06		0.6		0.88		9947		-1339		Yes		RTK		3D		1.4		2817		0.512		0.512		0.433		1.448				WME		Water Meter

		UP6538		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6538		9/19/25 9:00		3725'57.0095"N		795'50.6415"W		31.059		1290227.61		0		UNKNOWN		27		65536		CLASSIC		OMNI PEAK		140		10.328		100		-2		13		10.151		-4.347		65.18		Yes		9/19/25 9:00		RTK		30		1.06		0.6		0.88		9938		-1339		Yes		RTK		3D		1.2		2817		0.672		0.551		0.512		1.738				WME		Water Meter

		UP6539		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6539		9/19/25 9:05		3726'2.8145"N		795'47.9941"W		626.342		1290853.953		0		UNKNOWN		117		65536		CLASSIC		OMNI PEAK		140		25.253		100		-1		12		10.245		0.051		63.058		Yes		9/19/25 9:05		RTK		30		1.09		0.62		0.9		10100		-1339		Yes		RTK		3D		1		2817		0.512		0.394		0.394		1.291				WME		Water Meter

		UP6540		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6540		9/19/25 9:12		3726'14.8722"N		795'36.6816"W		1525.387		1292379.34		0		UNKNOWN		24		65536		CLASSIC		OMNI PEAK		140		19.594		100		24		11		14.103		2.772		21.13		Yes		9/19/25 9:12		RTK		30		1.07		0.61		0.88		10145		-1339		Yes		RTK		3D		1		2817		0.512		0.472		0.394		1.393				WME		Water Meter

		UP6541		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6541		9/19/25 9:15		3726'21.1705"N		795'37.5901"W		643.142		1293022.481		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.9		100		-22		7		13.1		-2.838		1.892		Yes		9/19/25 9:15		RTK		30		1.07		0.61		0.89		10190		-1339		Yes		RTK		3D		0.4		2817		0.591		0.512		0.472		1.563				WME		Water Meter

		UP6542		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6542		9/19/25 9:18		3726'20.6382"N		795'53.8174"W		1308.249		1294330.73		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		7.193		100		-2		11		12.76		0.982		-72.414		Yes		9/19/25 9:18		RTK		28		1.09		0.6		0.91		9216		-1339		Yes		RTK		3D		0.8		2817		1.388		0.85		0.63		3.256				WME		Water Meter

		UP6543		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6543		9/19/25 9:25		3725'14.7486"N		795'20.0790"W		0		1294330.73		0		UNKNOWN		77		65536		CLASSIC		OMNI PEAK		140		100		100		-18		1		12.722		-3.98		-70.717		Yes		9/19/25 9:25		RTK		29		1.14		0.63		0.96		9371		-1339		Yes		RTK		3D		0.6		2817		0.759		0.672		0.669		2.027				WME		Water Meter

		UP6544		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6544		9/19/25 9:25		3725'14.7271"N		795'20.0528"W		3.028		1294333.758		0		UNKNOWN		55		65536		CLASSIC		OMNI PEAK		140		100		100		28		5		11.693		0.863		82.337		Yes		9/19/25 9:26		RTK		30		1.14		0.63		0.96		9367		-1339		Yes		RTK		3D		1		2817		0.591		0.551		0.472		1.616				WME		Water Meter

		UP6545		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6545		9/19/25 9:32		3726'27.4511"N		795'22.9202"W		0		1294333.758		0		UNKNOWN		1075		65536		CLASSIC		OMNI PEAK		140		33.563		100		101		3		12.572		1.379		80.838		Yes		9/19/25 9:32		RTK		29		1.09		0.6		0.92		10397		-1339		Yes		RTK		3D		1		2817		0.394		0.37		0.394		1.081				WME		Water Meter

		UP6546		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6546		9/19/25 9:34		3726'30.1510"N		795'22.2710"W		278.855		1294612.613		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		8.681		100		-47		9		10.738		2.093		28.729		Yes		9/19/25 9:34		RTK		27		1.16		0.61		0.98		10570		-1339		Yes		RTK		3D		1		2817		0.759		0.591		0.512		1.923				WME		Water Meter

		UP6547		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6547		9/19/25 9:37		3726'43.2323"N		794'1.9651"W		0		1294612.613		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.2		100		3		11		11.265		-0.829		52.201		Yes		9/19/25 9:37		RTK		28		1.13		0.61		0.95		9819		-1340		Yes		RTK		3D		1		2817		0.85		0.672		0.551		2.168				WME		Water Meter

		UP6548		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6548		9/19/25 9:38		3726'43.4457"N		794'4.0232"W		167.177		1294779.79		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		99.167		100		4		5		8.037		0.522		59.263		Yes		9/19/25 9:38		RTK		30		1.11		0.6		0.93		9785		-1340		Yes		RTK		3D		0.4		2817		1.05		0.85		0.591		2.702				WME		Water Meter

		UP6549		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6549		9/19/25 9:41		3726'42.9720"N		794'13.5115"W		765.748		1295545.537		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		4.497		100		10		9		21.343		-1.53		-55.127		Yes		9/19/25 9:41		RTK		30		1.12		0.6		0.94		9918		-1340		Yes		RTK		3D		1		2817		0.672		0.433		0.394		1.599				WME		Water Meter

		UP6550		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6550		9/19/25 9:44		3726'36.8139"N		795'18.8871"W		0		1295545.537		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		3.383		100		1		11		14.687		-1.608		12.044		Yes		9/19/25 9:44		RTK		29		1.21		0.63		1.04		10370		-1339		Yes		RTK		3D		0.6		2893		0.85		0.672		0.512		2.168				WME		Water Meter

		UP6551		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6551		9/19/25 9:45		3726'45.4861"N		795'15.9189"W		911.698		1296457.236		0		UNKNOWN		343		65536		CLASSIC		OMNI PEAK		140		100		100		8		14		9.15		-0.588		-17.571		Yes		9/19/25 9:45		RTK		29		1.2		0.62		1.03		10062		-1339		Yes		RTK		3D		0.6		2893		0.591		0.512		0.472		1.563				WME		Water Meter

		UP6552		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6552		9/19/25 9:47		3726'46.8224"N		795'14.4341"W		180.776		1296638.012		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		93.274		100		1		11		28.305		0.762		-32.002		Yes		9/19/25 9:47		RTK		29		1.21		0.62		1.04		9975		-1339		Yes		RTK		3D		1		2893		0.512		0.472		0.394		1.393				WME		Water Meter

		UP6553		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6553		9/19/25 9:51		3727'9.3545"N		795'5.7477"W		2390.559		1299028.571		0		UNKNOWN		70		65536		CLASSIC		OMNI PEAK		140		8.999		100		2		6		14.72		0.942		37.967		Yes		9/19/25 9:51		RTK		29		1.1		0.59		0.93		10345		-1340		Yes		RTK		3D		0.4		2893		0.433		0.362		0.394		1.129				WME		Water Meter

		UP6554		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6554		9/19/25 9:54		3727'18.4861"N		795'4.4819"W		931.996		1299960.566		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		24.362		100		-1		13		14.134		-3.285		-75.675		Yes		9/19/25 9:54		RTK		28		1.1		0.59		0.93		10281		-1340		Yes		RTK		3D		0.8		2893		0.551		0.433		0.394		1.402				WME		Water Meter

		UP6555		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6555		9/19/25 9:56		3727'37.5165"N		795'10.1120"W		1983.165		1301943.731		0		UNKNOWN		36		65536		CLASSIC		OMNI PEAK		140		10.626		100		21		9		14.981		-2.93		-26.332		Yes		9/19/25 9:56		RTK		29		1.1		0.59		0.93		9856		-1340		Yes		RTK		3D		0.4		2893		0.512		0.472		0.394		1.393				WME		Water Meter

		UP6556		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6556		9/19/25 10:07		3725'45.4806"N		797'30.6093"W		0		1301943.731		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		104		0.05		100		2		10		9.464		1.778		-38.985		Yes		9/19/25 10:07		RTK		31		1.22		0.62		1.04		9408		-1339		Yes		RTK		3D		0.8		2893		2.362		2.207		1.063		6.466				WME		Water Meter

		UP6557		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6557		9/19/25 10:08		3725'44.5719"N		797'31.3368"W		109.237		1302052.969		0		UNKNOWN		53		65536		CLASSIC		OMNI PEAK		104		0.967		100		0		6		16.798		-1.33		14.899		Yes		9/19/25 10:08		RTK		31		1.08		0.58		0.91		9482		-1339		Yes		RTK		3D		1.4		2893		1.157		0.85		0.63		2.873				WME		Water Meter

		UP6558		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6558		9/19/25 10:10		3725'44.8394"N		797'35.2431"W		315.865		1302368.834		0		UNKNOWN		33		65536		CLASSIC		OMNI PEAK		104		13.345		100		-8		10		12.749		-0.661		-86.372		Yes		9/19/25 10:10		RTK		31		1.08		0.58		0.91		9425		-1339		Yes		RTK		3D		0.6		2893		0.948		0.591		0.512		2.233				WME		Water Meter

		UP6559		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6559		9/19/25 10:15		3725'41.4457"N		797'34.3558"W		351.63		1302720.464		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		104		0.044		100		-19		8		16.171		-0.045		-72.06		Yes		9/19/25 10:15		RTK		31		1.11		0.6		0.93		9528		-1339		Yes		RTK		3D		1.2		2893		0.512		0.39		0.394		1.287				WME		Water Meter

		UP6560		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6560		9/19/25 10:19		3725'39.8560"N		797'37.2208"W		281.579		1303002.043		0		UNKNOWN		70		65536		CLASSIC		OMNI PEAK		104		1.449		100		10		4		13.918		-0.663		-2.465		Yes		9/19/25 10:19		RTK		31		1.1		0.6		0.92		9469		-1339		Yes		RTK		3D		0.8		2893		0.85		0.551		0.433		2.027				WME		Water Meter

		UP6561		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6561		9/19/25 10:21		3725'43.3532"N		797'41.0220"W		468.68		1303470.723		0		UNKNOWN		256		65536		CLASSIC		OMNI PEAK		104		0.278		100		-13		10		19.945		-2.132		56.15		Yes		9/19/25 10:21		RTK		30		1.04		0.59		0.85		9275		-1339		Yes		RTK		3D		1.4		2893		0.591		0.433		0.394		1.465				WME		Water Meter

		UP6562		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6562		9/19/25 10:24		3725'39.4095"N		797'35.2970"W		610.573		1304081.296		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		104		0.09		100		-2		11		10.325		0.755		30.86		Yes		9/19/25 10:24		FLOAT RTK		30		1.05		0.62		0.85		9559		-1339		Yes		FLOAT RTK		3D		1		2893		13.62		4.233		0.866		28.526				WME		Water Meter

		UP6563		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6563		9/19/25 10:26		3725'38.8083"N		797'35.2238"W		61.269		1304142.565		0		UNKNOWN		41		65536		CLASSIC		OMNI PEAK		104		0.328		100		-12		9		14.664		-1.128		-50.489		Yes		9/19/25 10:26		RTK		32		1.05		0.61		0.85		9565		-1339		Yes		RTK		3D		0.6		2893		1.05		0.85		0.591		2.702				WME		Water Meter

		UP6564		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6564		9/19/25 10:30		3725'32.1107"N		797'47.4068"W		1193.765		1305336.33		0		UNKNOWN		141		65536		CLASSIC		OMNI PEAK		104		0.399		100		-8		7		15.095		-5.425		-80.216		Yes		9/19/25 10:30		RTK		32		0.94		0.56		0.76		9291		-1339		Yes		RTK		3D		1.2		2893		0.551		0.472		0.394		1.452				WME		Water Meter

		UP6565		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6565		9/19/25 10:31		3725'31.8637"N		797'46.6850"W		63.32		1305399.65		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		104		0.364		100		-2		10		11.982		0.335		-86.319		Yes		9/19/25 10:31		RTK		30		0.97		0.57		0.79		9273		-1339		Yes		RTK		3D		2.2		2893		2.058		1.512		0.866		5.107				WME		Water Meter

		UP6566		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6566		9/19/25 10:36		3725'33.0126"N		797'50.6510"W		340.118		1305739.768		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		104		0.182		100		19		9		11.094		-0.799		55.617		Yes		9/19/25 10:36		RTK		32		0.92		0.56		0.74		9391		-1338		Yes		RTK		3D		0.6		2893		1.157		0.551		0.472		2.564				WME		Water Meter

		UP6567		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6567		9/19/25 10:38		3725'31.8284"N		797'54.0305"W		297.599		1306037.366		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		104		0.097		100		12		8		14.428		-0.079		-24.333		Yes		9/19/25 10:38		RTK		30		1.06		0.64		0.85		9329		-1338		Yes		RTK		3D		0.8		2893		1.05		0.472		0.472		2.303				WME		Water Meter

		UP6568		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6568		9/19/25 10:39		3725'31.7842"N		797'54.0569"W		4.96		1306042.327		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		104		0.09		100		-11		11		15.752		-3.379		53.236		Yes		9/19/25 10:39		RTK		30		0.93		0.56		0.74		9316		-1338		Yes		RTK		3D		1		2893		1.157		0.759		0.551		2.768				WME		Water Meter

		UP6569		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6569		9/19/25 10:41		3725'29.8660"N		797'56.3086"W		266.042		1306308.369		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		104		0.029		100		-11		13		15.245		-3.566		-33.656		Yes		9/19/25 10:41		RTK		32		1.11		0.67		0.88		9176		-1338		Yes		RTK		3D		1.6		2893		0.672		0.433		0.394		1.599				WME		Water Meter

		UP6570		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6570		9/19/25 10:44		3725'34.0556"N		797'55.2203"W		433.98		1306742.349		0		UNKNOWN		58		65536		CLASSIC		OMNI PEAK		104		0.47		100		-9		13		11.375		-1.057		9.468		Yes		9/19/25 10:44		RTK		31		1.07		0.64		0.86		9276		-1338		Yes		RTK		3D		1		2893		1.27		0.759		0.63		2.959				WME		Water Meter

		UP6571		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6571		9/19/25 10:45		3725'33.5981"N		797'56.2000"W		91.563		1306833.912		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		104		0.044		100		-16		7		26.286		-1.891		-3.432		Yes		9/19/25 10:45		RTK		32		1.07		0.64		0.86		9298		-1338		Yes		RTK		3D		0.8		2893		0.759		0.591		0.512		1.923				WME		Water Meter

		UP6572		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6572		9/19/25 10:47		3725'28.8586"N		797'57.4212"W		490.79		1307324.702		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		104		0.069		100		51		6		10.144		-5.895		36.647		Yes		9/19/25 10:47		RTK		32		1.07		0.64		0.86		9185		-1338		Yes		RTK		3D		1		2893		1.512		1.05		0.669		3.681				WME		Water Meter

		UP6573		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6573		9/19/25 10:49		3725'25.3477"N		797'56.7741"W		359.978		1307684.679		0		UNKNOWN		44		65536		CLASSIC		OMNI PEAK		104		0.618		100		13		9		13.829		0.778		-52.26		Yes		9/19/25 10:49		RTK		31		0.98		0.59		0.78		8994		-1338		Yes		RTK		3D		1		2893		1.157		0.759		0.551		2.768				WME		Water Meter

		UP6574		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6574		9/19/25 10:52		3725'15.3791"N		798'3.5454"W		1149.084		1308833.763		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		104		0.89		100		18		12		11.887		-2.846		-27.278		Yes		9/19/25 10:52		RTK		32		0.94		0.59		0.73		8761		-1338		Yes		RTK		3D		1.6		2893		2.362		1.64		0.748		5.752				WME		Water Meter

		UP6575		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6575		9/19/25 10:56		3725'9.2631"N		798'16.1463"W		1189.87		1310023.633		0		UNKNOWN		87		65536		CLASSIC		OMNI PEAK		104		0.306		100		15		8		12.007		3.424		70.231		Yes		9/19/25 10:56		RTK		32		0.96		0.61		0.74		6740		-1338		Yes		RTK		3D		0.4		2893		1.913		1.05		0.591		4.365				WME		Water Meter

		UP6576		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6576		9/19/25 10:57		3725'8.5824"N		798'16.6705"W		80.941		1310104.574		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		104		0.02		100		1		8		13.434		-4.058		68.487		Yes		9/19/25 10:58		RTK		31		0.96		0.61		0.74		6714		-1338		Yes		RTK		3D		1		2893		0.512		0.433		0.394		1.341				WME		Water Meter

		UP6577		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6577		9/19/25 11:00		3725'7.6845"N		798'16.3799"W		94.06		1310198.634		0		UNKNOWN		22		65536		CLASSIC		OMNI PEAK		104		0.176		100		3		11		13.569		-4.346		-1.322		Yes		9/19/25 11:00		RTK		30		0.99		0.62		0.77		6716		-1338		Yes		RTK		3D		1.6		2893		1.512		1.05		0.827		3.681				WME		Water Meter

		UP6578		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6578		9/19/25 11:13		3725'3.6640"N		798'13.1558"W		483.584		1310682.218		0		UNKNOWN		19		65536		CLASSIC		OMNI PEAK		104		0.505		100		-1		12		11.968		1.328		66.102		Yes		9/19/25 11:13		RTK		27		1.2		0.71		0.96		6745		-1338		Yes		RTK		3D		3.2		3122		0.948		0.551		0.551		2.192				WME		Water Meter

		UP6579		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6579		9/19/25 11:22		3726'28.5378"N		797'18.7586"W		0		1310682.218		0		UNKNOWN		29		65536		CLASSIC		OMNI PEAK		104		1.559		100		4		3		12.121		-0.794		-4.606		Yes		9/19/25 11:22		RTK		30		1.02		0.61		0.82		9649		-1339		Yes		RTK		3D		1		3122		0.472		0.366		0.394		1.195				WME		Water Meter

		UP6580		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6580		9/19/25 11:24		3726'32.6036"N		797'15.5746"W		485.718		1311167.936		0		UNKNOWN		7686		65536		CLASSIC		OMNI PEAK		104		0.291		100		-2		11		11.019		-1.658		17.311		Yes		9/19/25 11:24		RTK		32		1.24		0.73		1.01		9836		-1339		Yes		RTK		3D		1		3122		1.388		0.672		0.63		3.085				WME		Water Meter

		UP6581		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6581		9/19/25 11:25		3726'32.5671"N		797'14.4978"W		86.811		1311254.747		0		UNKNOWN		1530		65536		CLASSIC		OMNI PEAK		104		0.08		100		44		6		8.527		0.142		-83.561		Yes		9/19/25 11:25		RTK		32		1.24		0.73		1.01		9850		-1339		Yes		RTK		3D		0.8		3122		1.05		0.591		0.591		2.409				WME		Water Meter

		UP6582		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6582		9/19/25 11:26		3726'32.3193"N		797'13.3271"W		97.595		1311352.342		0		UNKNOWN		104		65536		CLASSIC		OMNI PEAK		104		0.388		100		7		8		16.554		-2.662		-55.959		Yes		9/19/25 11:26		RTK		32		1.36		0.76		1.12		9880		-1339		Yes		RTK		3D		1.6		3122		0.948		0.591		0.512		2.233				WME		Water Meter

		UP6583		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6583		9/19/25 11:27		3726'32.7993"N		797'12.9897"W		55.772		1311408.114		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		104		0.148		100		55		6		15.953		-0.832		8.471		Yes		9/19/25 11:27		RTK		31		1.24		0.73		1.01		9923		-1339		Yes		RTK		3D		0.6		3122		1.27		0.948		0.709		3.17				WME		Water Meter

		UP6584		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6584		9/19/25 11:31		3726'30.5178"N		797'11.0946"W		277.269		1311685.383		0		UNKNOWN		50		65536		CLASSIC		OMNI PEAK		104		2.12		100		-10		5		11.908		-2.764		40.31		Yes		9/19/25 11:31		RTK		32		1.24		0.72		1.01		9930		-1339		Yes		RTK		3D		0.6		3122		0.759		0.433		0.394		1.747				WME		Water Meter

		UP6585		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6585		9/19/25 11:33		3726'33.6127"N		797'0.0779"W		941.286		1312626.669		0		UNKNOWN		88		65536		CLASSIC		OMNI PEAK		104		1.413		100		-9		13		15.547		-4.49		66.464		Yes		9/19/25 11:33		RTK		32		1.08		0.61		0.9		9547		-1339		Yes		RTK		3D		0.8		3122		0.551		0.512		0.433		1.504				WME		Water Meter

		UP6586		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6586		9/19/25 11:36		3726'35.2578"N		796'52.2922"W		648.946		1313275.615		0		UNKNOWN		18		65536		CLASSIC		OMNI PEAK		104		0.555		100		4		7		11.81		2.267		2.311		Yes		9/19/25 11:36		RTK		31		1.23		0.7		1.01		9049		-1339		Yes		RTK		3D		1.2		3122		0.759		0.551		0.472		1.875				WME		Water Meter

		UP6587		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6587		9/19/25 11:39		3726'33.2167"N		797'3.5282"W		928.422		1314204.037		0		UNKNOWN		53		65536		CLASSIC		OMNI PEAK		104		100		100		1		4		11.499		0.389		-42.24		Yes		9/19/25 11:39		RTK		31		1.28		0.7		1.07		9781		-1339		Yes		RTK		3D		0.8		3122		0.591		0.394		0.394		1.42				WME		Water Meter

		UP6588		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6588		9/19/25 11:39		3726'33.2075"N		797'3.5517"W		2.108		1314206.145		0		UNKNOWN		83		65536		CLASSIC		OMNI PEAK		104		51.797		100		33		2		13.065		1.242		-43.493		Yes		9/19/25 11:39		RTK		32		1.28		0.7		1.07		9784		-1339		Yes		RTK		3D		0.8		3122		1.64		0.948		0.709		3.789				WME		Water Meter

		UP6589		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6589		9/19/25 11:39		3726'33.1924"N		797'3.5785"W		2.646		1314208.791		0		UNKNOWN		248		65536		CLASSIC		OMNI PEAK		104		16.687		100		69		1		14.542		0.694		-85.189		Yes		9/19/25 11:39		RTK		32		1.28		0.7		1.07		9784		-1339		Yes		RTK		3D		1.4		3122		0.759		0.433		0.433		1.747				WME		Water Meter

		UP6590		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6590		9/19/25 11:41		3726'33.0838"N		797'5.4484"W		151.023		1314359.814		0.002		UNKNOWN		599		65536		CLASSIC		OMNI PEAK		104		18.237		100		29		11		11.944		-0.887		63.772		Yes		9/19/25 11:41		RTK		32		1.29		0.7		1.08		9882		-1339		Yes		RTK		3D		1.2		3122		1.388		0.759		0.748		3.164				WME		Water Meter

		UP6591		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6591		9/19/25 11:41		3726'33.0792"N		797'5.4267"W		1.815		1314361.629		0		UNKNOWN		189		65536		CLASSIC		OMNI PEAK		104		13.978		100		15		13		18.11		1.468		85.173		Yes		9/19/25 11:41		RTK		32		1.33		0.74		1.1		9886		-1339		Yes		RTK		3D		1		3122		0.948		0.551		0.669		2.192				WME		Water Meter

		UP6592		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6592		9/19/25 11:42		3726'33.1014"N		797'6.6696"W		100.14		1314461.77		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		104		0.043		100		51		5		10.158		-0.462		80.474		Yes		9/19/25 11:42		RTK		32		1.43		0.75		1.22		9877		-1339		Yes		RTK		3D		1		3122		4.412		2.522		1.378		10.164				WME		Water Meter

		UP6593		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6593		9/19/25 11:42		3726'33.1027"N		797'6.6904"W		1.684		1314463.454		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		104		0.297		100		13		8		10.935		-0.412		18.978		Yes		9/19/25 11:43		RTK		30		1.43		0.75		1.22		9879		-1339		Yes		RTK		3D		1.6		3122		2.058		1.05		0.945		4.62				WME		Water Meter

		UP6594		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6594		9/19/25 11:43		3726'33.1171"N		797'7.0630"W		30.042		1314493.496		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0		100		-98		9		11.877		0.191		-38.927		Yes		9/19/25 11:43		RTK		30		1.48		0.74		1.28		9886		-1339		Yes		RTK		3D		1		3122		1.64		0.759		0.866		3.615				WME		Water Meter

		UP6595		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6595		9/19/25 11:45		3726'33.1281"N		797'8.1212"W		85.246		1314578.742		0		UNKNOWN		62		65536		CLASSIC		OMNI PEAK		140		100		100		28		8		10.168		2.256		52.244		Yes		9/19/25 11:45		RTK		30		1.43		0.73		1.23		9918		-1339		Yes		RTK		3D		0.4		3122		3.402		1.774		1.299		7.673				WME		Water Meter

		UP6596		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6596		9/19/25 11:49		3726'33.9128"N		797'10.2298"W		187.577		1314766.319		0		UNKNOWN		326		65536		CLASSIC		OMNI PEAK		140		100		100		-119		12		11.17		2.003		-72.991		Yes		9/19/25 11:49		FLOAT RTK		31		1.16		0.59		1		9858		-1339		Yes		FLOAT RTK		3D		0.6		3122		22.087		18.406		3.543		57.501				WME		Water Meter

		UP6597		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6597		9/19/25 11:49		3726'33.9043"N		797'10.2282"W		0.878		1314767.198		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		27.427		100		1		10		14.77		-0.312		-2.857		Yes		9/19/25 11:49		FLOAT RTK		31		1.16		0.59		1		9865		-1339		Yes		FLOAT RTK		3D		1.2		3122		27.608		18.406		4.331		66.362				WME		Water Meter

		UP6598		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6598		9/19/25 11:49		3726'33.8921"N		797'10.2222"W		1.328		1314768.526		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.243		100		-32		8		16.891		-0.764		-87.984		Yes		9/19/25 11:49		FLOAT RTK		31		1.16		0.59		1		9862		-1339		Yes		FLOAT RTK		3D		4.4		3122		20.246		16.565		3.15		52.318				WME		Water Meter

		UP6599		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6599		9/19/25 11:51		3726'35.9333"N		797'11.0670"W		217.977		1314986.503		0		UNKNOWN		349		65536		CLASSIC		OMNI PEAK		140		100		100		1		14		13.674		0.154		88.648		Yes		9/19/25 11:51		RTK		31		1.17		0.59		1.01		9917		-1339		Yes		RTK		3D		1.6		3122		1.388		1.05		0.906		3.481				WME		Water Meter

		UP6600		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6600		9/19/25 12:27		3726'39.5102"N		797'10.9168"W		363.082		1315349.585		0		UNKNOWN		92		65536		CLASSIC		OMNI PEAK		140		26.16		100		18		9		13.823		-1.82		-83.863		Yes		9/19/25 12:27		RTK		31		1.15		0.58		1		9895		-1339		Yes		RTK		3D		0.8		3291		0.948		0.551		0.669		2.192				WME		Water Meter

		UP6601		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6601		9/19/25 12:31		3726'46.5779"N		797'11.1222"W		717.213		1316066.798		0		UNKNOWN		17		65536		CLASSIC		OMNI PEAK		140		100		100		-1		9		12.168		-4.281		3.45		Yes		9/19/25 12:31		RTK		31		1.22		0.61		1.06		9875		-1339		Yes		RTK		3D		1.4		3291		0.948		0.512		0.669		2.154				WME		Water Meter

		UP6602		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6602		9/19/25 12:32		3726'46.6679"N		797'11.0926"W		9.429		1316076.227		0		UNKNOWN		15		65536		CLASSIC		OMNI PEAK		140		100		100		-5		5		16.033		-0.632		27.986		Yes		9/19/25 12:32		RTK		32		1.1		0.57		0.94		9873		-1339		Yes		RTK		3D		0.6		3291		0.759		0.472		0.63		1.787				WME		Water Meter

		UP6603		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6603		9/19/25 12:33		3726'47.8023"N		797'10.8023"W		117.443		1316193.67		0		UNKNOWN		326		65536		CLASSIC		OMNI PEAK		140		36.053		100		-1		11		12.222		0.632		58.581		Yes		9/19/25 12:33		RTK		32		1.38		0.67		1.21		9807		-1339		Yes		RTK		3D		1.2		3291		0.551		0.394		0.551		1.355				WME		Water Meter

		UP6604		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6604		9/19/25 12:40		3726'52.0271"N		797'11.3927"W		431.238		1316624.908		0		UNKNOWN		64		65536		CLASSIC		OMNI PEAK		140		100		100		-22		3		11.702		-2.379		43.538		Yes		9/19/25 12:40		RTK		32		1.19		0.59		1.03		9891		-1339		Yes		RTK		3D		1		3291		1.05		0.672		0.787		2.493				WME		Water Meter

		UP6605		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6605		9/19/25 12:40		3726'52.0458"N		797'11.3921"W		1.898		1316626.806		0		UNKNOWN		17		65536		CLASSIC		OMNI PEAK		140		100		100		-6		3		14.582		-0.21		14.32		Yes		9/19/25 12:40		RTK		32		1.19		0.59		1.03		9890		-1339		Yes		RTK		3D		0.8		3291		0.672		0.512		0.591		1.689				WME		Water Meter

		UP6606		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6606		9/19/25 12:41		3726'53.0630"N		797'11.5935"W		104.462		1316731.268		0		UNKNOWN		34		65536		CLASSIC		OMNI PEAK		140		86.95		100		20		7		11.28		-0.505		27.77		Yes		9/19/25 12:41		RTK		32		1.17		0.58		1.02		9909		-1339		Yes		RTK		3D		1.4		3291		0.948		0.591		0.787		2.233				WME		Water Meter

		UP6607		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6607		9/19/25 12:43		3726'55.2685"N		797'12.2814"W		230.507		1316961.775		0		UNKNOWN		17		65536		CLASSIC		OMNI PEAK		140		97.935		100		0		11		11.071		-2.688		3.279		Yes		9/19/25 12:43		RTK		32		1.05		0.54		0.9		9935		-1339		Yes		RTK		3D		1		3291		0.591		0.386		0.551		1.411				WME		Water Meter

		UP6608		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6608		9/19/25 12:44		3726'56.0694"N		797'12.4609"W		82.527		1317044.302		0		UNKNOWN		124		65536		CLASSIC		OMNI PEAK		140		69.519		100		-24		9		10.765		-1.218		-11.753		Yes		9/19/25 12:45		RTK		32		1.01		0.52		0.87		9950		-1339		Yes		RTK		3D		1.4		3291		0.551		0.394		0.512		1.355				WME		Water Meter

		UP6609		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6609		9/19/25 12:45		3726'56.9633"N		797'12.7006"W		92.716		1317137.018		0		UNKNOWN		19		65536		CLASSIC		OMNI PEAK		140		100		100		-1		13		14.484		1.763		-29.813		Yes		9/19/25 12:45		RTK		32		1.01		0.52		0.87		9967		-1339		Yes		RTK		3D		2.8		3291		1.27		0.759		0.787		2.959				WME		Water Meter

		UP6610		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6610		9/19/25 12:46		3726'57.8809"N		797'12.9679"W		95.548		1317232.566		0		UNKNOWN		362		65536		CLASSIC		OMNI PEAK		140		52.817		100		0		10		9.727		1.729		-35.573		Yes		9/19/25 12:46		RTK		32		1.06		0.54		0.9		10000		-1339		Yes		RTK		3D		1.4		3291		0.85		0.512		0.63		1.985				WME		Water Meter

		UP6611		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6611		9/19/25 12:52		3727'1.3560"N		797'14.1602"W		365.398		1317597.964		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		100		100		2		7		10.303		-4.566		3.525		Yes		9/19/25 12:52		RTK		32		1.06		0.53		0.92		9929		-1339		Yes		RTK		3D		0.8		3291		1.05		0.551		0.709		2.372				WME		Water Meter

		UP6612		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6612		9/19/25 12:53		3727'2.1990"N		797'14.4416"W		88.468		1317686.432		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		58.233		100		-1		12		14.032		-2.667		8.309		Yes		9/19/25 12:53		RTK		32		1.07		0.53		0.92		9928		-1339		Yes		RTK		3D		1.2		3291		0.591		0.433		0.551		1.465				WME		Water Meter

		UP6613		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6613		9/19/25 12:55		3727'3.5345"N		797'14.9943"W		142.615		1317829.047		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		4.702		100		-10		12		12.684		-1.659		71.356		Yes		9/19/25 12:55		RTK		32		1		0.51		0.86		9929		-1339		Yes		RTK		3D		0.6		3291		0.759		0.394		0.591		1.709				WME		Water Meter

		UP6614		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6614		9/19/25 12:56		3727'4.3902"N		797'15.2561"W		89.334		1317918.381		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		52.557		100		-6		12		11.356		-0.59		84.268		Yes		9/19/25 12:56		RTK		32		1.07		0.53		0.93		9941		-1339		Yes		RTK		3D		1		3291		0.85		0.759		0.669		2.279				WME		Water Meter

		UP6615		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6615		9/19/25 12:56		3727'4.4118"N		797'15.2630"W		2.263		1317920.644		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		46.181		100		0		12		11.287		-2.908		29.623		Yes		9/19/25 12:56		RTK		32		1.03		0.52		0.89		9939		-1339		Yes		RTK		3D		2.4		3291		1.05		0.759		0.669		2.59				WME		Water Meter

		UP6616		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6616		9/19/25 12:58		3727'5.3140"N		797'15.6647"W		97.076		1318017.72		0		UNKNOWN		14		65536		CLASSIC		OMNI PEAK		140		100		100		1		4		13.726		-0.172		-20.956		Yes		9/19/25 12:58		RTK		32		1.06		0.53		0.92		9965		-1339		Yes		RTK		3D		1.4		3291		0.472		0.346		0.433		1.172				WME		Water Meter

		UP6617		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6617		9/19/25 13:05		3727'9.3410"N		797'0.6066"W		1279.71		1319297.43		0		UNKNOWN		68		65536		CLASSIC		OMNI PEAK		140		100		100		26		11		14.872		-2.733		-28.265		Yes		9/19/25 13:05		RTK		30		1.23		0.62		1.06		9828		-1339		Yes		RTK		3D		0.8		3291		1.157		0.512		0.591		2.531				WME		Water Meter

		UP6618		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6618		9/19/25 13:06		3727'9.3324"N		797'0.6263"W		1.811		1319299.241		0		UNKNOWN		71		65536		CLASSIC		OMNI PEAK		140		100		100		3		9		9.57		0.773		-14.7		Yes		9/19/25 13:06		RTK		32		1.07		0.55		0.92		9830		-1339		Yes		RTK		3D		0.4		3291		1.05		0.512		0.591		2.336				WME		Water Meter

		UP6619		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6619		9/19/25 13:09		3727'14.0683"N		797'18.4441"W		1513.284		1320812.525		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		140		100		100		4		9		12.209		0.379		-73.493		Yes		9/19/25 13:09		RTK		32		1.05		0.53		0.91		10157		-1339		Yes		RTK		3D		1.2		3291		0.759		0.472		0.472		1.787				WME		Water Meter

		UP6620		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6620		9/19/25 13:09		3727'14.0443"N		797'18.4416"W		2.442		1320814.967		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		5.43		100		1		12		12.489		0.039		-78.811		Yes		9/19/25 13:09		RTK		32		1.05		0.53		0.91		10156		-1339		Yes		RTK		3D		0.8		3291		0.512		0.394		0.394		1.291				WME		Water Meter

		UP6621		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6621		9/19/25 13:12		3727'20.1226"N		797'16.4807"W		636.549		1321451.515		0		UNKNOWN		2620		65536		CLASSIC		OMNI PEAK		140		90.634		100		-1		11		12.835		3.049		18.903		Yes		9/19/25 13:12		RTK		32		1.06		0.53		0.91		10354		-1339		Yes		RTK		3D		1		3291		0.85		0.512		0.551		1.985				WME		Water Meter

		UP6622		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6622		9/19/25 13:14		3727'15.0240"N		796'50.0544"W		2190.195		1323641.711		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		57.773		100		0		10		31.814		3.477		75.232		Yes		9/19/25 13:15		RTK		32		1.06		0.53		0.92		10120		-1339		Yes		RTK		3D		1.4		3291		0.512		0.343		0.394		1.232				WME		Water Meter

		UP6623		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6623		9/19/25 13:16		3727'13.5338"N		796'49.0876"W		170.051		1323811.762		0		UNKNOWN		12		65536		CLASSIC		OMNI PEAK		140		100		100		13		12		13.609		-2.3		3.601		Yes		9/19/25 13:16		RTK		32		1.03		0.52		0.89		10081		-1339		Yes		RTK		3D		0.4		3291		0.85		0.472		0.472		1.946				WME		Water Meter

		UP6624		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6624		9/19/25 13:17		3727'13.5444"N		796'49.0365"W		4.26		1323816.021		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		100		100		4		8		14.275		-2.231		-17.091		Yes		9/19/25 13:17		RTK		32		1.06		0.53		0.92		10083		-1339		Yes		RTK		3D		1.2		3291		0.386		0.291		0.394		0.967				WME		Water Meter

		UP6625		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6625		9/19/25 13:21		3727'18.0551"N		796'46.6927"W		495.008		1324311.03		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		46.621		100		31		7		18.753		-4.39		77.19		Yes		9/19/25 13:21		RTK		32		1.07		0.57		0.9		10108		-1339		Yes		RTK		3D		0.6		3291		0.85		0.433		0.472		1.909				WME		Water Meter

		UP6626		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6626		9/19/25 13:27		3727'11.0182"N		797'21.0998"W		2861.479		1327172.508		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		11.83		100		-8		4		17.836		0.386		-45.384		Yes		9/19/25 13:27		RTK		32		0.99		0.5		0.85		10213		-1339		Yes		RTK		3D		1.2		3291		0.759		0.433		0.394		1.747				WME		Water Meter

		UP6627		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6627		9/19/25 13:33		3727'8.5443"N		797'32.0699"W		918.457		1328090.965		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		100		100		-11		7		11.579		0.115		8.221		Yes		9/19/25 13:33		RTK		32		1.08		0.55		0.92		10056		-1339		Yes		RTK		3D		0.8		3291		0.759		0.591		0.512		1.923				WME		Water Meter

		UP6628		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6628		9/19/25 13:35		3727'7.6480"N		797'31.1802"W		115.77		1328206.735		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		40.343		100		0		12		9.522		0.449		-16.447		Yes		9/19/25 13:35		FLOAT RTK		32		1.02		0.53		0.87		9867		-1339		Yes		FLOAT RTK		3D		1.4		3291		3.681		2.577		0.433		8.987				WME		Water Meter

		UP6629		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6629		9/19/25 13:46		3726'2.3605"N		798'41.0522"W		0		1328206.735		0		UNKNOWN		78		65536		CLASSIC		OMNI PEAK		140		80.735		100		2		11		17.838		-3.61		33.725		Yes		9/19/25 13:46		RTK		32		1.05		0.54		0.9		6444		-1338		Yes		RTK		3D		1		3291		0.551		0.303		0.394		1.258				WME		Water Meter

		UP6630		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6630		9/19/25 13:51		3726'27.8669"N		798'9.3316"W		0		1328206.735		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		100		100		1		11		12.272		-1.166		34.397		Yes		9/19/25 13:51		FLOAT RTK		32		1.01		0.53		0.86		9136		-1338		Yes		FLOAT RTK		3D		0.6		3291		2.025		1.804		0.394		5.423				WME		Water Meter

		UP6631		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6631		9/19/25 13:54		3727'9.1024"N		797'24.4852"W		0		1328206.735		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		100		100		0		5		10.225		2.2		12.884		Yes		9/19/25 13:54		RTK		31		1.01		0.52		0.86		10247		-1339		Yes		RTK		3D		1.2		3291		0.759		0.512		0.472		1.83				WME		Water Meter

		UP6632		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6632		9/19/25 13:56		3727'9.1310"N		797'24.3696"W		9.752		1328216.487		0		UNKNOWN		66		65536		CLASSIC		OMNI PEAK		140		100		100		2		8		23.986		2.14		-32.264		Yes		9/19/25 13:56		RTK		29		1.12		0.58		0.96		10241		-1339		Yes		RTK		3D		1		3291		0.672		0.433		0.433		1.599				WME		Water Meter

		UP6633		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6633		9/19/25 13:59		3727'10.5145"N		797'20.2276"W		361.906		1328578.393		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		94.706		100		-2		10		13.897		-1.208		1.372		Yes		9/19/25 13:59		RTK		31		1.08		0.54		0.94		10140		-1339		Yes		RTK		3D		0.4		3291		1.157		0.512		0.472		2.531				WME		Water Meter

		UP6634		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6634		9/19/25 14:01		3727'9.0399"N		797'18.1832"W		222.459		1328800.853		0		UNKNOWN		100		65536		CLASSIC		OMNI PEAK		140		87.94		99		1		8		19.221		-6.716		10.175		Yes		9/19/25 14:01		RTK		31		1.08		0.54		0.94		9992		-1339		Yes		RTK		3D		0.8		3291		0.591		0.394		0.394		1.42				WME		Water Meter

		UP6635		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6635		9/19/25 14:05		3727'4.8544"N		797'16.6819"W		441.499		1329242.352		0		UNKNOWN		19		65536		CLASSIC		OMNI PEAK		140		100		99		29		10		17.32		0.634		-28.715		Yes		9/19/25 14:05		RTK		32		1.1		0.55		0.96		9962		-1339		Yes		RTK		3D		0.8		3291		1.05		0.551		0.551		2.372				WME		Water Meter

		UP6636		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6636		9/19/25 14:05		3727'4.8728"N		797'16.6846"W		1.876		1329244.228		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		99		-2		11		19.501		-1.807		37.96		Yes		9/19/25 14:05		RTK		32		1.1		0.55		0.96		9964		-1339		Yes		RTK		3D		1.8		3291		0.759		0.472		0.472		1.787				WME		Water Meter

		UP6637		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6637		9/19/25 14:05		3727'4.7724"N		797'16.6381"W		10.854		1329255.082		0		UNKNOWN		18		65536		CLASSIC		OMNI PEAK		140		100		99		7		12		15.131		-5.448		-8.519		Yes		9/19/25 14:05		RTK		32		1.07		0.54		0.93		9959		-1339		Yes		RTK		3D		1.2		3291		1.64		0.759		0.63		3.615				WME		Water Meter

		UP6638		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6638		9/19/25 14:11		3727'0.9451"N		797'15.2200"W		404.725		1329659.807		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		17.227		98		11		12		15.294		-4.206		-56.07		Yes		9/19/25 14:11		RTK		32		1.09		0.55		0.94		9932		-1339		Yes		RTK		3D		0.8		3291		0.759		0.512		0.512		1.83				WME		Water Meter

		UP6639		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6639		9/19/25 14:13		3726'59.4895"N		797'15.2348"W		147.684		1329807.492		0		UNKNOWN		26		65536		CLASSIC		OMNI PEAK		140		100		98		0		12		7.903		-0.208		-11.202		Yes		9/19/25 14:13		RTK		32		1.05		0.54		0.9		9965		-1339		Yes		RTK		3D		1.2		3291		1.388		0.759		0.63		3.164				WME		Water Meter

		UP6640		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6640		9/19/25 14:13		3726'59.4645"N		797'15.2300"W		2.56		1329810.052		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		39.716		98		1		10		14.288		-0.456		62.338		Yes		9/19/25 14:13		RTK		32		1.05		0.54		0.9		9966		-1339		Yes		RTK		3D		1.2		3291		0.672		0.472		0.472		1.643				WME		Water Meter

		UP6641		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6641		9/19/25 14:15		3726'57.1160"N		797'13.9635"W		259.177		1330069.229		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		30.17		98		-24		9		11.696		-2.664		70.303		Yes		9/19/25 14:15		RTK		32		1.07		0.54		0.93		9984		-1339		Yes		RTK		3D		1.2		3291		0.672		0.433		0.433		1.599				WME		Water Meter

		UP6642		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6642		9/19/25 14:17		3726'55.6691"N		797'13.5125"W		151.208		1330220.438		0		UNKNOWN		52		65536		CLASSIC		OMNI PEAK		140		100		98		-15		8		14.007		-1.412		51.899		Yes		9/19/25 14:17		RTK		32		1.06		0.54		0.91		9959		-1339		Yes		RTK		3D		0.8		3291		0.672		0.591		0.551		1.789				WME		Water Meter

		UP6643		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6643		9/19/25 14:21		3726'52.3043"N		797'13.4177"W		341.455		1330561.892		0		UNKNOWN		28		65536		CLASSIC		OMNI PEAK		140		100		96		2		2		10.695		-1.525		69.752		Yes		9/19/25 14:21		RTK		32		0.97		0.5		0.83		9882		-1339		Yes		RTK		3D		0.6		3291		0.759		0.394		0.433		1.709				WME		Water Meter

		UP6644		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6644		9/19/25 14:21		3726'53.1837"N		797'13.0497"W		94.012		1330655.905		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		97		37		7		16.167		-1.984		-28.081		Yes		9/19/25 14:21		RTK		31		1.02		0.54		0.87		9921		-1339		Yes		RTK		3D		1.2		3291		0.591		0.472		0.433		1.513				WME		Water Meter

		UP6645		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6645		9/19/25 14:26		3726'47.8902"N		797'12.3589"W		539.895		1331195.8		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		32.39		95		-2		10		10.09		2.166		-21.069		Yes		9/19/25 14:26		RTK		32		1.03		0.54		0.88		9839		-1339		Yes		RTK		3D		1		3291		0.759		0.433		0.433		1.747				WME		Water Meter

		UP6646		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6646		9/19/25 14:27		3726'47.6408"N		797'12.5198"W		28.432		1331224.232		0		UNKNOWN		124		65536		CLASSIC		OMNI PEAK		140		43.085		96		0		11		9.09		0.336		71.025		Yes		9/19/25 14:27		RTK		31		0.98		0.51		0.84		9832		-1339		Yes		RTK		3D		0.8		3291		1.774		0.759		0.669		3.859				WME		Water Meter

		UP6647		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6647		9/19/25 14:27		3726'47.6569"N		797'12.5334"W		1.968		1331226.2		0		UNKNOWN		158		65536		CLASSIC		OMNI PEAK		140		62.584		96		4		7		10.819		-0.654		-49.703		Yes		9/19/25 14:27		RTK		31		0.98		0.51		0.84		9831		-1339		Yes		RTK		3D		1.8		3291		1.05		0.512		0.512		2.336				WME		Water Meter

		UP6648		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6648		9/19/25 14:27		3726'47.8538"N		797'12.3703"W		23.916		1331250.115		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		31.722		96		0		9		8.302		1.984		-50.177		Yes		9/19/25 14:27		RTK		31		1.05		0.55		0.89		9841		-1339		Yes		RTK		3D		1		3291		1.388		0.759		0.669		3.164				WME		Water Meter

		UP6649		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6649		9/19/25 14:27		3726'47.8908"N		797'12.3626"W		3.801		1331253.916		0		UNKNOWN		116		65536		CLASSIC		OMNI PEAK		140		88.471		96		16		6		9.707		2.207		-45.494		Yes		9/19/25 14:27		RTK		32		0.98		0.51		0.84		9839		-1339		Yes		RTK		3D		1.8		3291		0.948		0.472		0.472		2.118				WME		Water Meter

		UP6650		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6650		9/19/25 14:30		3726'45.0458"N		797'12.2388"W		288.801		1331542.717		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		8.901		95		-1		9		15.083		-1.755		-20.191		Yes		9/19/25 14:30		RTK		32		0.98		0.51		0.83		9908		-1339		Yes		RTK		3D		0.8		3291		0.551		0.335		0.394		1.29				WME		Water Meter

		UP6651		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6651		9/19/25 14:31		3726'43.4496"N		797'12.3462"W		162.161		1331704.878		0		UNKNOWN		88		65536		CLASSIC		OMNI PEAK		140		100		95		-10		11		9.313		-0.509		72.073		Yes		9/19/25 14:31		RTK		32		0.99		0.51		0.84		9963		-1339		Yes		RTK		3D		0.6		3291		0.85		0.472		0.433		1.946				WME		Water Meter

		UP6652		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6652		9/19/25 14:32		3726'43.4103"N		797'12.3491"W		4.001		1331708.879		0		UNKNOWN		789		65536		CLASSIC		OMNI PEAK		140		69.176		96		2		12		8.343		-1.014		46.651		Yes		9/19/25 14:32		FLOAT RTK		32		0.97		0.51		0.83		9964		-1339		Yes		FLOAT RTK		3D		1.6		3291		6.258		4.049		0.748		14.907				WME		Water Meter

		UP6653		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6653		9/19/25 14:33		3726'41.4315"N		797'12.2360"W		200.953		1331909.831		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		42.564		96		25		8		14.99		-1.858		-48.701		Yes		9/19/25 14:33		RTK		32		1		0.52		0.85		9949		-1339		Yes		RTK		3D		1.8		3291		0.551		0.39		0.394		1.35				WME		Water Meter

		UP6654		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6654		9/19/25 14:34		3726'40.2078"N		797'13.9214"W		183.954		1332093.785		0		UNKNOWN		49		65536		CLASSIC		OMNI PEAK		140		100		96		-3		11		11.155		0.559		-57.686		Yes		9/19/25 14:34		RTK		32		0.97		0.51		0.82		9967		-1339		Yes		RTK		3D		1		3291		0.591		0.39		0.394		1.415				WME		Water Meter

		UP6655		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6655		9/19/25 14:42		3726'38.0063"N		797'12.2491"W		260.818		1332354.603		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		1.122		95		64		12		11.356		1.338		-52.814		Yes		9/19/25 14:42		RTK		32		1.03		0.54		0.88		9917		-1339		Yes		RTK		3D		1		3291		1.512		0.591		0.709		3.246				WME		Water Meter

		UP6656		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6656		9/19/25 14:42		3726'37.8324"N		797'12.2023"W		18.042		1332372.644		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		45.317		95		-19		8		17.518		-5.201		-2.981		Yes		9/19/25 14:42		RTK		31		1.08		0.56		0.92		9916		-1339		Yes		RTK		3D		1.2		3291		0.759		0.433		0.472		1.747				WME		Water Meter

		UP6657		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6657		9/19/25 14:43		3726'36.8247"N		797'12.2201"W		102.237		1332474.882		0		UNKNOWN		268		65536		CLASSIC		OMNI PEAK		140		41.382		95		-7		11		6.839		3.537		-45.037		Yes		9/19/25 14:43		RTK		32		1.08		0.56		0.92		9904		-1339		Yes		RTK		3D		1.4		3291		1.157		0.512		0.551		2.531				WME		Water Meter

		UP6658		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6658		9/19/25 14:45		3726'33.7806"N		797'12.1026"W		308.976		1332783.858		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		3.416		95		0		11		16.175		-1.617		-56.548		Yes		9/19/25 14:45		RTK		31		1.07		0.55		0.92		9941		-1339		Yes		RTK		3D		1.2		3291		1.157		0.591		0.63		2.599				WME		Water Meter

		UP6659		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6659		9/19/25 14:48		3726'31.2362"N		797'36.8867"W		2012.933		1334796.791		0		UNKNOWN		1923		65536		CLASSIC		OMNI PEAK		140		21.123		94		-18		7		10.239		1.175		-26.218		Yes		9/19/25 14:48		RTK		32		1.15		0.59		0.98		8615		-1339		Yes		RTK		3D		0.8		3291		0.551		0.378		0.394		1.337				WME		Water Meter

		UP6660		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6660		9/19/25 14:50		3726'28.9129"N		797'38.8794"W		285.166		1335081.957		0		UNKNOWN		19		65536		CLASSIC		OMNI PEAK		140		69.272		94		-5		10		7.986		-1.025		54.216		Yes		9/19/25 14:50		RTK		31		1.15		0.59		0.98		8593		-1339		Yes		RTK		3D		0.8		3291		1.27		0.512		0.63		2.739				WME		Water Meter

		UP6661		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6661		9/19/25 15:01		3728'0.3797"N		797'10.3918"W		0		1335081.957		0		UNKNOWN		319		65536		CLASSIC		OMNI PEAK		140		16.197		91		-76		11		9.322		-4.006		81.067		Yes		9/19/25 15:01		RTK		31		1.1		0.55		0.95		10244		-1339		Yes		RTK		3D		3.4		3412		1.774		0.672		0.827		3.794				WME		Water Meter

		UP6662		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6662		9/19/25 15:04		3728'1.7551"N		797'14.5997"W		366.433		1335448.39		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		1.452		92		7		11		17.914		-2.143		77.172		Yes		9/19/25 15:04		RTK		30		1.1		0.54		0.96		10451		-1339		Yes		RTK		3D		0.8		3412		2.858		0.591		0.984		5.837				WME		Water Meter

		UP6663		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6663		9/19/25 15:05		3728'2.1904"N		797'15.4211"W		79.527		1335527.917		0		UNKNOWN		2357		65536		CLASSIC		OMNI PEAK		140		10.329		91		2		10		13.964		-1.49		-33.12		Yes		9/19/25 15:05		RTK		30		1.12		0.56		0.97		10458		-1339		Yes		RTK		3D		0.8		3412		0.551		0.394		0.472		1.355				WME		Water Meter

		UP6664		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6664		9/19/25 15:06		3728'2.2081"N		797'16.1973"W		62.529		1335590.446		0		UNKNOWN		173		65536		CLASSIC		OMNI PEAK		140		21.69		92		18		11		15.636		0.778		71.703		Yes		9/19/25 15:06		RTK		31		1.12		0.56		0.97		10445		-1339		Yes		RTK		3D		1.8		3412		1.774		0.672		0.709		3.794				WME		Water Meter

		UP6665		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6665		9/19/25 15:13		3728'3.3874"N		797'23.0354"W		563.456		1336153.901		0		UNKNOWN		50		65536		CLASSIC		OMNI PEAK		140		50.549		91		9		11		15.462		-3.428		-33.516		Yes		9/19/25 15:13		RTK		32		1.21		0.59		1.06		10414		-1339		Yes		RTK		3D		1.4		3412		1.157		0.472		0.63		2.5				WME		Water Meter

		UP6666		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6666		9/19/25 15:16		3728'9.3481"N		798'19.7973"W		0		1336153.901		0		UNKNOWN		73		65536		CLASSIC		OMNI PEAK		140		61.739		90		5		8		14.815		0.048		0.918		Yes		9/19/25 15:16		RTK		32		1.11		0.56		0.96		9625		-1338		Yes		RTK		3D		1		3412		0.374		0.276		0.394		0.929				WME		Water Meter

		UP6667		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6667		9/19/25 15:19		3728'25.8957"N		798'52.3793"W		3114.549		1339268.451		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		3.432		89		-6		10		15.337		0.849		35.182		Yes		9/19/25 15:19		RTK		30		1.08		0.54		0.94		9190		-1338		Yes		RTK		3D		0.4		3412		0.472		0.35		0.433		1.176				WME		Water Meter

		UP6668		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6668		9/19/25 15:20		3728'26.5768"N		798'52.7411"W		74.987		1339343.438		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		98.006		89		5		10		16.818		-0.146		-7.957		Yes		9/19/25 15:20		RTK		32		1.08		0.54		0.94		9161		-1338		Yes		RTK		3D		0.6		3412		1.05		0.551		0.669		2.372				WME		Water Meter

		UP6669		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6669		9/19/25 15:22		3728'30.5351"N		798'56.9929"W		527.675		1339871.113		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		38.106		89		2		10		12.195		-4.556		-61.383		Yes		9/19/25 15:22		RTK		32		1.08		0.54		0.93		9025		-1338		Yes		RTK		3D		1.4		3412		0.85		0.512		0.63		1.985				WME		Water Meter

		UP6670		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6670		9/19/25 15:23		3728'29.8648"N		798'56.5883"W		75.402		1339946.515		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		40.97		89		8		11		18.74		-2.964		-66.946		Yes		9/19/25 15:23		RTK		32		1.07		0.54		0.93		9001		-1338		Yes		RTK		3D		1.2		3412		0.85		0.472		0.551		1.946				WME		Water Meter

		UP6671		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6671		9/19/25 15:23		3728'29.5382"N		798'55.8075"W		71.06		1340017.575		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		100		88		2		10		14.602		-4.053		-43.473		Yes		9/19/25 15:23		RTK		32		1.17		0.56		1.03		8954		-1338		Yes		RTK		3D		0.8		3412		0.512		0.394		0.472		1.291				WME		Water Meter

		UP6672		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6672		9/19/25 15:25		3728'28.7412"N		798'54.9343"W		107.145		1340124.72		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		100		89		1		10		10.801		0.731		11.427		Yes		9/19/25 15:25		RTK		32		1.07		0.51		0.94		8927		-1338		Yes		RTK		3D		1.8		3412		1.05		0.85		0.709		2.702				WME		Water Meter

		UP6673		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6673		9/19/25 15:28		3728'24.8360"N		798'52.7031"W		435.013		1340559.732		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		100		88		-5		13		12.938		-5.914		-3.728		Yes		9/19/25 15:28		RTK		32		1.16		0.56		1.02		9226		-1338		Yes		RTK		3D		1.6		3412		0.759		0.591		0.591		1.923				WME		Water Meter

		UP6674		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6674		9/19/25 15:30		3728'23.6040"N		798'58.7376"W		501.683		1341061.416		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		100		89		24		9		10.076		-2.205		-31.612		Yes		9/19/25 15:30		RTK		32		1.06		0.51		0.93		8899		-1338		Yes		RTK		3D		1.4		3412		0.591		0.551		0.551		1.616				WME		Water Meter

		UP6675		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6675		9/19/25 15:31		3728'25.3811"N		799'3.7839"W		444.501		1341505.916		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		20.021		88		-1		11		16.674		-6.214		52.96		Yes		9/19/25 15:31		RTK		32		1.15		0.55		1.01		8707		-1338		Yes		RTK		3D		1		3412		0.551		0.394		0.472		1.355				WME		Water Meter

		UP6676		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6676		9/19/25 15:34		3729'23.8103"N		7910'8.5485"W		0		1341505.916		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		56.81		87		-5		8		16.571		-1.855		-70.048		Yes		9/19/25 15:34		RTK		32		1.09		0.54		0.95		8509		-1338		Yes		RTK		3D		1.4		3412		0.85		0.512		0.551		1.985				WME		Water Meter

		UP6677		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6677		9/19/25 15:36		3729'34.6695"N		7910'29.2450"W		1997.28		1343503.197		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		100		88		2		11		11.481		3.494		-19.806		Yes		9/19/25 15:36		RTK		32		1.08		0.54		0.94		9080		-1338		Yes		RTK		3D		0.8		3412		2.207		0.948		0.906		4.804				WME		Water Meter

		UP6678		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6678		9/19/25 15:39		3730'3.1220"N		7911'0.7998"W		0		1343503.197		0		UNKNOWN		69		65536		CLASSIC		OMNI PEAK		140		52.184		85		2		11		11.9		-1.756		51.804		Yes		9/19/25 15:39		RTK		32		1.06		0.54		0.91		10343		-1337		Yes		RTK		3D		2		3412		1.388		0.672		0.866		3.085				WME		Water Meter

		UP6679		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6679		9/19/25 15:40		3730'4.3718"N		7911'1.6452"W		143.895		1343647.091		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		90.707		87		0		9		12.634		0.792		-20.5		Yes		9/19/25 15:40		RTK		32		1.05		0.54		0.91		10359		-1337		Yes		RTK		3D		1.6		3412		0.433		0.35		0.394		1.114				WME		Water Meter

		UP6680		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6680		9/19/25 15:42		3730'22.5388"N		7911'16.1927"W		2183.486		1345830.577		0		UNKNOWN		18		65536		CLASSIC		OMNI PEAK		140		100		85		2		9		11.2		-0.199		-21.126		Yes		9/19/25 15:42		RTK		32		1.04		0.54		0.89		10218		-1337		Yes		RTK		3D		0.4		3412		0.672		0.512		0.551		1.689				WME		Water Meter

		UP6681		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6681		9/19/25 15:45		3730'58.0113"N		7911'39.8344"W		0		1345830.577		0		UNKNOWN		90		65536		CLASSIC		OMNI PEAK		140		49.354		86		-2		10		14.758		-1.711		76.266		Yes		9/19/25 15:45		RTK		31		1.12		0.54		0.98		10393		-1337		Yes		RTK		3D		0.6		3412		1.512		0.948		0.866		3.568				WME		Water Meter

		UP6682		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6682		9/19/25 15:47		3731'0.1499"N		7911'41.6178"W		260.134		1346090.711		0		UNKNOWN		48		65536		CLASSIC		OMNI PEAK		140		100		86		-8		4		17.481		1.359		-20.724		Yes		9/19/25 15:47		RTK		30		1.11		0.54		0.97		10379		-1337		Yes		RTK		3D		1		3412		0.672		0.512		0.472		1.689				WME		Water Meter

		UP6683		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6683		9/19/25 15:49		3731'10.1015"N		7911'44.0315"W		1028.105		1347118.816		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		100		85		-2		10		12.645		-8.055		57.76		Yes		9/19/25 15:49		RTK		31		1.18		0.56		1.04		10585		-1337		Yes		RTK		3D		1		3412		0.948		0.591		0.748		2.233				WME		Water Meter

		UP6684		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6684		9/19/25 15:52		3731'7.3955"N		7911'43.4067"W		279.091		1347397.907		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		100		83		-29		10		11.909		-0.184		67.591		Yes		9/19/25 15:53		RTK		31		1.07		0.54		0.93		10461		-1337		Yes		RTK		3D		0.6		3412		0.85		0.551		0.63		2.027				WME		Water Meter

		UP6685		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6685		9/19/25 15:53		3731'6.7887"N		7911'43.5759"W		63.048		1347460.955		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		30.303		84		43		7		10.995		-6.64		37.06		Yes		9/19/25 15:53		RTK		31		1.07		0.54		0.92		10440		-1337		Yes		RTK		3D		1.2		3412		1.05		0.672		0.709		2.493				WME		Water Meter

		UP6686		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6686		9/19/25 15:54		3731'4.4486"N		7911'43.8358"W		238.328		1347699.283		0		UNKNOWN		14		65536		CLASSIC		OMNI PEAK		140		100		84		-1		10		8.208		-1.572		5.711		Yes		9/19/25 15:54		RTK		31		1.06		0.54		0.91		10370		-1337		Yes		RTK		3D		0.4		3412		0.85		0.591		0.551		2.071				WME		Water Meter

		UP6687		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6687		9/19/25 16:00		3731'3.1640"N		7911'43.9046"W		130.44		1347829.723		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		32.771		83		2		11		17.212		-2.92		-43.017		Yes		9/19/25 16:00		FLOAT RTK		32		1.07		0.54		0.93		10352		-1337		Yes		FLOAT RTK		3D		0.6		3412		23.927		17.485		3.937		59.27				WME		Water Meter

		UP6688		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6688		9/19/25 16:03		3730'54.3528"N		7911'37.4604"W		1033.422		1348863.145		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		58.299		83		-7		11		13.535		-0.667		2.874		Yes		9/19/25 16:03		RTK		31		1.11		0.55		0.96		10395		-1337		Yes		RTK		3D		1.2		3412		1.27		0.85		0.748		3.057				WME		Water Meter

		UP6689		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6689		9/19/25 16:08		3730'50.0894"N		7911'41.3893"W		535.751		1349398.896		0		UNKNOWN		41		65536		CLASSIC		OMNI PEAK		140		72.347		82		-1		8		16.594		-0.712		-38.116		Yes		9/19/25 16:08		RTK		30		1.08		0.56		0.92		10883		-1337		Yes		RTK		3D		0.8		3412		1.05		0.759		0.709		2.59				WME		Water Meter

		UP6690		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6690		9/19/25 16:16		3728'1.6316"N		798'10.9969"W		0		1349398.896		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		18.151		81		-82		9		11.429		0.001		66.504		Yes		9/19/25 16:16		RTK		30		0.99		0.54		0.83		10179		-1338		Yes		RTK		3D		0.6		3412		0.551		0.472		0.394		1.452				WME		Water Meter

		UP6691		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6691		9/19/25 16:20		3727'47.4628"N		798'36.1134"W		2481.245		1351880.142		0		UNKNOWN		245		65536		CLASSIC		OMNI PEAK		140		73.575		81		0		12		12.01		-1.959		-27.594		Yes		9/19/25 16:20		RTK		31		1.13		0.61		0.95		10123		-1338		Yes		RTK		3D		1		3412		0.672		0.433		0.433		1.599				WME		Water Meter

		UP6692		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6692		9/19/25 16:25		3727'44.0023"N		798'50.8857"W		1240.283		1353120.425		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		82.361		79		9		11		22.871		-1.237		-59.388		Yes		9/19/25 16:25		RTK		31		1.06		0.6		0.87		9345		-1338		Yes		RTK		3D		1		3412		1.05		0.672		0.591		2.493				WME		Water Meter

		UP6693		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6693		9/19/25 16:30		3727'46.4100"N		798'24.7451"W		2119.136		1355239.561		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		12.457		79		63		3		13.956		-3.596		-5.137		Yes		9/19/25 16:30		RTK		32		0.95		0.55		0.78		9961		-1338		Yes		RTK		3D		1		3412		0.433		0.319		0.394		1.076				WME		Water Meter

		UP6694		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6694		9/19/25 16:33		3727'55.1919"N		798'0.6516"W		2134.908		1357374.469		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		25.103		79		-1		10		14.872		-2.456		21.645		Yes		9/19/25 16:33		RTK		32		1.15		0.67		0.93		10516		-1338		Yes		RTK		3D		1.2		3412		0.759		0.512		0.433		1.83				WME		Water Meter

		UP6695		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6695		9/19/25 16:35		3727'47.9873"N		798'5.0910"W		813.657		1358188.126		0		UNKNOWN		114		65536		CLASSIC		OMNI PEAK		140		25.762		79		0		9		15.583		0.726		73.27		Yes		9/19/25 16:35		RTK		31		1.15		0.65		0.95		10000		-1338		Yes		RTK		3D		1.2		3412		0.472		0.394		0.394		1.23				WME		Water Meter

		UP6696		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6696		9/19/25 16:39		3727'32.9327"N		798'7.5937"W		1540.525		1359728.651		0		UNKNOWN		45		65536		CLASSIC		OMNI PEAK		140		75.186		79		-1		8		13.581		-1.295		-13.934		Yes		9/19/25 16:39		RTK		29		1.15		0.65		0.95		9970		-1338		Yes		RTK		3D		0.6		3412		0.85		0.591		0.512		2.071				WME		Water Meter

		UP6697		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6697		9/19/25 16:41		3727'27.8106"N		798'14.4462"W		757.997		1360486.648		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		100		78		1		10		13.892		-0.369		-25.101		Yes		9/19/25 16:41		RTK		31		1.07		0.64		0.86		9961		-1338		Yes		RTK		3D		0.6		3412		1.388		0.948		0.709		3.362				WME		Water Meter

		UP6698		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6698		9/19/25 16:44		3727'31.8324"N		798'5.2972"W		842.21		1361328.858		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		14.773		78		0		13		23.459		0.065		77.261		Yes		9/19/25 16:44		RTK		30		1.19		0.67		0.98		9973		-1338		Yes		RTK		3D		0.6		3412		0.512		0.472		0.394		1.393				WME		Water Meter

		UP6699		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6699		9/19/25 16:45		3727'32.7468"N		798'6.4797"W		132.945		1361461.802		0		UNKNOWN		72		65536		CLASSIC		OMNI PEAK		140		100		77		1		13		9.754		-2.052		-37.655		Yes		9/19/25 16:45		RTK		31		1.19		0.67		0.99		9959		-1338		Yes		RTK		3D		1.4		3412		0.948		0.591		0.512		2.233				WME		Water Meter

		UP6700		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6700		9/19/25 16:48		3727'26.3393"N		798'4.5785"W		667.83		1362129.632		0		UNKNOWN		102		65536		CLASSIC		OMNI PEAK		140		96.94		77		6		6		15.363		-0.93		-30.394		Yes		9/19/25 16:48		RTK		31		1.05		0.62		0.85		9672		-1338		Yes		RTK		3D		1		3412		0.386		0.35		0.394		1.042				WME		Water Meter

		UP6701		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6701		9/19/25 16:57		3727'34.8931"N		798'3.9223"W		869.391		1362999.023		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		28.854		68		-9		12		19.972		-3.137		48.989		Yes		9/19/25 16:57		RTK		31		1.06		0.61		0.86		9985		-1338		Yes		RTK		3D		1.2		3412		0.472		0.433		0.394		1.282				WME		Water Meter

		UP6702		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6702		9/19/25 17:00		3727'50.5244"N		798'2.9730"W		1587.639		1364586.662		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		16.644		67		-1		12		9.346		-2.604		8.366		Yes		9/19/25 17:00		RTK		31		1.03		0.59		0.85		10119		-1338		Yes		RTK		3D		0.8		3412		0.759		0.512		0.394		1.83				WME		Water Meter

		UP6703		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6703		9/19/25 17:00		3727'50.5440"N		798'2.9596"W		2.268		1364588.93		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		73.206		67		-2		6		11.166		-0.38		14.353		Yes		9/19/25 17:00		RTK		31		1.03		0.59		0.85		10122		-1338		Yes		RTK		3D		0.8		3412		1.27		0.85		0.512		3.057				WME		Water Meter

		UP6704		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6704		9/19/25 17:01		3727'50.6295"N		798'2.9033"W		9.783		1364598.713		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		21.71		67		-1		11		11.187		-1.351		68.512		Yes		9/19/25 17:01		RTK		31		0.96		0.56		0.78		10131		-1338		Yes		RTK		3D		1.2		3412		0.672		0.591		0.394		1.789				WME		Water Meter

		UP6705		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6705		9/19/25 17:01		3727'50.6503"N		798'2.8875"W		2.462		1364601.176		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		4.051		60		1		12		13.685		1.853		-10.746		Yes		9/19/25 17:01		RTK		31		0.98		0.57		0.8		10132		-1338		Yes		RTK		3D		1.2		3412		0.551		0.472		0.394		1.452				WME		Water Meter

		UP6706		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6706		9/19/25 17:06		3728'0.9525"N		797'29.0010"W		2921.97		1367523.146		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		100		66		5		11		15.825		-1.758		7.271		Yes		9/19/25 17:06		RTK		31		1.05		0.6		0.86		10429		-1339		Yes		RTK		3D		1		3412		1.05		0.591		0.512		2.409				WME		Water Meter

		UP6707		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6707		9/19/25 17:08		3727'58.6092"N		797'36.8879"W		678.108		1368201.254		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		36.281		66		0		9		14.292		-2.269		-8.568		Yes		9/19/25 17:08		RTK		30		1.05		0.6		0.86		10595		-1339		Yes		RTK		3D		1.4		3412		1.157		0.759		0.512		2.768				WME		Water Meter

		UP6708		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6708		9/19/25 17:09		3728'0.7123"N		797'30.2837"W		572.987		1368774.241		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		43.07		63		0		11		21.047		-5.996		38.234		Yes		9/19/25 17:09		RTK		30		1		0.58		0.82		10484		-1339		Yes		RTK		3D		0.4		3412		0.551		0.512		0.394		1.504				WME		Water Meter

		UP6709		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6709		9/19/25 17:11		3727'59.1787"N		797'29.8338"W		159.749		1368933.99		0		UNKNOWN		72		65536		CLASSIC		OMNI PEAK		140		100		66		40		3		13.816		-2.37		-80.923		Yes		9/19/25 17:11		RTK		29		1.09		0.63		0.89		10555		-1339		Yes		RTK		3D		1		3412		1.157		0.551		0.512		2.564				WME		Water Meter

		UP6710		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6710		9/19/25 17:13		3727'57.4087"N		797'29.3112"W		184.43		1369118.42		0		UNKNOWN		224		65536		CLASSIC		OMNI PEAK		140		100		64		-5		11		8.125		2.558		28.857		Yes		9/19/25 17:13		RTK		31		1.04		0.6		0.85		10591		-1339		Yes		RTK		3D		1.2		3412		0.672		0.472		0.394		1.643				WME		Water Meter

		UP6711		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6711		9/19/25 17:14		3727'57.4110"N		797'29.3474"W		2.928		1369121.348		0		UNKNOWN		180		65536		CLASSIC		OMNI PEAK		140		93.845		64		7		9		10.459		1.482		35.729		Yes		9/19/25 17:14		RTK		31		1.01		0.58		0.82		10592		-1339		Yes		RTK		3D		1.4		3412		0.672		0.551		0.394		1.738				WME		Water Meter

		UP6712		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6712		9/19/25 17:16		3728'2.5626"N		797'21.2981"W		832.611		1369953.96		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		31.307		62		-2		10		6.602		0.702		7.429		Yes		9/19/25 17:16		RTK		31		1.07		0.61		0.88		10356		-1339		Yes		RTK		3D		0.8		3412		0.672		0.551		0.394		1.738				WME		Water Meter

		UP6713		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6713		9/19/25 17:20		3727'59.8449"N		797'12.3475"W		771.658		1370725.617		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		32.438		64		1		8		13.231		-1.988		88.34		Yes		9/19/25 17:20		RTK		30		1.25		0.7		1.04		10294		-1339		Yes		RTK		3D		1.4		3412		0.85		0.551		0.512		2.027				WME		Water Meter

		UP6714		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6714		9/19/25 17:20		3727'59.8185"N		797'12.2400"W		9.056		1370734.673		0		UNKNOWN		87		65536		CLASSIC		OMNI PEAK		140		79.981		63		2		9		11.553		-0.077		28.426		Yes		9/19/25 17:20		RTK		31		1.25		0.7		1.04		10278		-1339		Yes		RTK		3D		0.6		3412		0.85		0.591		0.512		2.071				WME		Water Meter

		UP6715		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6715		9/19/25 17:23		3727'57.8666"N		797'9.0554"W		323.992		1371058.664		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		49.358		62		12		4		9.439		0.065		-54.436		Yes		9/19/25 17:23		RTK		31		1.15		0.64		0.95		10174		-1339		Yes		RTK		3D		1		3412		0.948		0.759		0.472		2.427				WME		Water Meter

		UP6716		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6716		9/19/25 17:24		3727'57.1256"N		797'9.0468"W		75.175		1371133.84		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		29.873		63		0		10		7.131		0.856		43.272		Yes		9/19/25 17:24		RTK		31		1.15		0.64		0.95		10155		-1339		Yes		RTK		3D		1.6		3412		0.85		0.672		0.433		2.168				WME		Water Meter

		UP6717		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6717		9/19/25 17:26		3727'54.7883"N		797'8.6336"W		239.445		1371373.285		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		29.629		63		20		9		10.683		-2.363		31.831		Yes		9/19/25 17:26		RTK		31		1.15		0.65		0.95		10216		-1339		Yes		RTK		3D		1		3412		0.759		0.512		0.433		1.83				WME		Water Meter

		UP6718		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6718		9/19/25 17:26		3727'54.7236"N		797'8.6276"W		6.582		1371379.867		0		UNKNOWN		17		65536		CLASSIC		OMNI PEAK		140		100		63		2		6		15.519		1.583		-62.368		Yes		9/19/25 17:26		RTK		31		1.15		0.65		0.95		10222		-1339		Yes		RTK		3D		1		3412		1.157		0.759		0.551		2.768				WME		Water Meter

		UP6719		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6719		9/19/25 17:28		3727'53.2296"N		797'8.4215"W		152.472		1371532.339		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		140		100		60		1		9		8.973		-4.174		-4.326		Yes		9/19/25 17:28		RTK		30		1.1		0.62		0.91		10272		-1339		Yes		RTK		3D		0.6		3412		1.05		0.85		0.551		2.702				WME		Water Meter

		UP6720		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6720		9/19/25 17:29		3727'53.2473"N		797'8.4263"W		1.84		1371534.179		0		UNKNOWN		580		65536		CLASSIC		OMNI PEAK		140		58.605		57		38		6		13.517		0.477		-89.57		Yes		9/19/25 17:29		RTK		28		1.1		0.62		0.91		10274		-1339		Yes		RTK		3D		1		3412		0.759		0.591		0.472		1.923				WME		Water Meter

		UP6721		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6721		9/19/25 17:33		3727'49.8734"N		797'8.1549"W		342.976		1371877.155		0		UNKNOWN		121		65536		CLASSIC		OMNI PEAK		140		85.012		61		-3		9		13.55		0.643		-17.588		Yes		9/19/25 17:33		RTK		30		1.25		0.69		1.05		10256		-1339		Yes		RTK		3D		1.2		3412		0.948		0.672		0.472		2.323				WME		Water Meter

		UP6722		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6722		9/19/25 17:36		3727'46.4297"N		797'8.6010"W		351.209		1372228.364		0		UNKNOWN		165		65536		CLASSIC		OMNI PEAK		140		100		60		-106		5		8.374		-0.666		-6.372		Yes		9/19/25 17:36		RTK		31		1.4		0.73		1.2		10233		-1339		Yes		RTK		3D		0.6		3412		1.157		0.948		0.63		2.992				WME		Water Meter

		UP6723		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6723		9/19/25 17:40		3727'43.2763"N		797'9.4013"W		326.345		1372554.709		0		UNKNOWN		34		65536		CLASSIC		OMNI PEAK		140		73.77		62		-14		7		11.126		-2.205		-43.353		Yes		9/19/25 17:40		RTK		30		1.27		0.69		1.06		10229		-1339		Yes		RTK		3D		1		3412		0.85		0.551		0.472		2.027				WME		Water Meter

		UP6724		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6724		9/19/25 17:42		3727'44.8108"N		797'15.2373"W		495.07		1373049.779		0		UNKNOWN		144		65536		CLASSIC		OMNI PEAK		140		37.463		55		0		12		11.065		-0.958		-69.367		Yes		9/19/25 17:43		RTK		30		1.27		0.69		1.06		10028		-1339		Yes		RTK		3D		1.4		3412		1.157		0.759		0.591		2.768				WME		Water Meter

		UP6725		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6725		9/19/25 17:45		3727'43.7070"N		797'13.7893"W		161.667		1373211.446		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		22.899		63		0		12		16.243		-1.119		60.417		Yes		9/19/25 17:45		RTK		30		1.27		0.7		1.06		10148		-1339		Yes		RTK		3D		0.8		3412		3.034		0.433		0.709		6.13				WME		Water Meter

		UP6726		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6726		9/19/25 17:45		3727'43.7230"N		797'13.8075"W		2.186		1373213.632		0		UNKNOWN		57		65536		CLASSIC		OMNI PEAK		140		100		63		0		13		16.251		-0.509		-77.953		Yes		9/19/25 17:45		RTK		30		1.27		0.7		1.06		10148		-1339		Yes		RTK		3D		1.8		3412		1.05		0.591		0.591		2.409				WME		Water Meter

		UP6727		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6727		9/19/25 17:46		3727'42.2785"N		797'12.4532"W		182.672		1373396.304		0		UNKNOWN		16		65536		CLASSIC		OMNI PEAK		140		100		62		6		11		19.225		-3.827		-16.793		Yes		9/19/25 17:46		RTK		31		1.22		0.68		1.02		10269		-1339		Yes		RTK		3D		1.2		3412		0.672		0.672		0.472		1.9				WME		Water Meter

		UP6728		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6728		9/19/25 17:46		3727'41.7554"N		797'11.8026"W		74.571		1373470.875		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		31.524		63		-13		7		10.969		3.606		11.105		Yes		9/19/25 17:46		RTK		30		1.22		0.68		1.02		10310		-1339		Yes		RTK		3D		1		3412		0.512		0.433		0.394		1.341				WME		Water Meter

		UP6729		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6729		9/19/25 17:48		3727'36.1512"N		797'10.7544"W		574.785		1374045.661		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		15.384		63		-13		10		14.627		-0.355		-20.536		Yes		9/19/25 17:48		RTK		30		1.22		0.68		1.01		10190		-1339		Yes		RTK		3D		0.8		3412		0.551		0.472		0.394		1.452				WME		Water Meter

		UP6730		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6730		9/19/25 17:49		3727'36.1373"N		797'10.7578"W		1.43		1374047.091		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		67.677		63		2		8		15.712		0.925		-80.435		Yes		9/19/25 17:49		RTK		30		1.22		0.68		1.01		10192		-1339		Yes		RTK		3D		1		3412		0.591		0.512		0.394		1.563				WME		Water Meter

		UP6731		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6731		9/19/25 17:49		3727'36.1230"N		797'10.7609"W		1.473		1374048.564		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		74.713		63		-24		7		17.86		0.794		-73.74		Yes		9/19/25 17:49		RTK		30		1.22		0.68		1.01		10194		-1339		Yes		RTK		3D		0.6		3412		1.157		0.85		0.591		2.873				WME		Water Meter

		UP6732		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6732		9/19/25 17:50		3727'30.5162"N		797'13.6622"W		614.924		1374663.487		0		UNKNOWN		28		65536		CLASSIC		OMNI PEAK		140		43.151		63		-1		7		10.302		3.294		42.261		Yes		9/19/25 17:50		RTK		30		1.21		0.67		1.01		10460		-1339		Yes		RTK		3D		1.2		3412		0.512		0.394		0.394		1.291				WME		Water Meter

		UP6733		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6733		10/6/25 10:36		3725'53.9809"N		796'40.0225"W		0		1374663.487		0		UNKNOWN		38		65536		CLASSIC		OMNI PEAK		140		36.739		100		0		6		11.52		0.958		-25.367		Yes		10/6/25 10:36		RTK		28		1.11		0.57		0.95		8992		-1339		Yes		RTK		3D		0.8		2147		0.85		0.551		0.551		2.027				WME		Water Meter

		UP6734		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6734		10/6/25 10:37		3725'53.2146"N		796'39.5044"W		88.243		1374751.731		0		UNKNOWN		29		65536		CLASSIC		OMNI PEAK		140		34.86		100		5		7		11.862		-2.226		-22.341		Yes		10/6/25 10:37		RTK		32		1.11		0.57		0.95		9053		-1339		Yes		RTK		3D		1.4		2147		1.05		0.759		0.709		2.59				WME		Water Meter

		UP6735		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6735		10/6/25 10:37		3725'52.6754"N		796'39.1386"W		62.13		1374813.86		0		UNKNOWN		232		65536		CLASSIC		OMNI PEAK		140		6.994		100		-21		9		9.825		-0.252		-41.401		Yes		10/6/25 10:37		RTK		32		1.11		0.57		0.95		9108		-1339		Yes		RTK		3D		0.8		2147		0.85		0.672		0.63		2.168				WME		Water Meter

		UP6736		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6736		10/6/25 10:38		3725'52.5418"N		796'38.5824"W		46.814		1374860.675		0		UNKNOWN		21		65536		CLASSIC		OMNI PEAK		140		26.821		100		-11		11		8.662		1.521		71.584		Yes		10/6/25 10:38		RTK		32		1.04		0.54		0.89		9139		-1339		Yes		RTK		3D		1		2147		1.27		1.05		0.669		3.296				WME		Water Meter

		UP6737		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6737		10/6/25 10:39		3725'51.9207"N		796'38.6627"W		63.346		1374924.021		0		UNKNOWN		9		65536		CLASSIC		OMNI PEAK		140		43.203		100		5		13		7.926		-0.112		4.508		Yes		10/6/25 10:39		RTK		32		1.04		0.54		0.89		9202		-1339		Yes		RTK		3D		5.2		2147		0.672		0.551		0.512		1.738				WME		Water Meter

		UP6738		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6738		10/6/25 10:40		3725'50.5687"N		796'37.3566"W		172.866		1375096.886		0		UNKNOWN		40		65536		CLASSIC		OMNI PEAK		140		17.434		100		93		10		11.485		-0.268		81.769		Yes		10/6/25 10:40		RTK		29		1.07		0.55		0.92		9247		-1339		Yes		RTK		3D		1		2147		0.374		0.346		0.394		1.02				WME		Water Meter

		UP6739		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6739		10/6/25 10:41		3725'49.8967"N		796'36.9943"W		74.168		1375171.054		0		UNKNOWN		15		65536		CLASSIC		OMNI PEAK		140		17.203		100		-13		9		14.994		-2.452		87.131		Yes		10/6/25 10:41		RTK		32		1.03		0.54		0.87		9298		-1339		Yes		RTK		3D		0.6		2147		0.85		0.759		0.551		2.279				WME		Water Meter

		UP6740		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6740		10/6/25 10:41		3725'49.5405"N		796'37.2254"W		40.648		1375211.702		0		UNKNOWN		72		65536		CLASSIC		OMNI PEAK		140		26.376		100		-25		10		9.884		1.069		-15.483		Yes		10/6/25 10:41		RTK		32		1.02		0.53		0.87		9297		-1339		Yes		RTK		3D		2.2		2147		0.591		0.551		0.472		1.616				WME		Water Meter

		UP6741		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6741		10/6/25 10:42		3725'49.2109"N		796'37.0386"W		36.667		1375248.369		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		140		38.814		100		7		10		13.139		-0.43		-5.242		Yes		10/6/25 10:42		RTK		32		1.07		0.55		0.92		9310		-1339		Yes		RTK		3D		1.4		2147		0.85		0.591		0.63		2.071				WME		Water Meter

		UP6742		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6742		10/6/25 10:43		3725'48.4207"N		796'35.9811"W		116.984		1375365.352		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		41.436		100		0		9		17.703		-3.134		-15.821		Yes		10/6/25 10:43		RTK		32		1.07		0.55		0.93		9254		-1339		Yes		RTK		3D		2.6		2147		0.85		0.551		0.669		2.027				WME		Water Meter

		UP6743		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6743		10/6/25 10:47		3725'42.8956"N		796'33.1958"W		603.771		1375969.123		0		UNKNOWN		52		65536		CLASSIC		OMNI PEAK		140		11.499		100		26		7		8.921		3.922		-80.615		Yes		10/6/25 10:47		RTK		32		1.02		0.53		0.87		9525		-1339		Yes		RTK		3D		0.8		2147		0.85		0.672		0.669		2.168				WME		Water Meter

		UP6744		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6744		10/6/25 10:48		3725'43.4841"N		796'33.4994"W		64.525		1376033.648		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.436		100		12		12		19.142		-2.87		83.654		Yes		10/6/25 10:48		RTK		32		1.03		0.53		0.88		9498		-1339		Yes		RTK		3D		1.2		2147		0.472		0.386		0.433		1.22				WME		Water Meter

		UP6745		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Unmerged (no data)		6745		10/6/25 10:52		3725'46.8559"N		796'35.0736"W		364.825		1376398.473		0		UNKNOWN		14		65536		CLASSIC		OMNI PEAK		140		75.685		100		3		9		8.988		-1.021		59.984		Yes		10/6/25 10:52		DGPS SPS VALID		31		1.1		0.54		0.95		9123		-1339		Yes		DIFFERENTIAL		3D		1		2147		5.102		3.827		4.724		12.756				WME		Water Meter

		UP6746		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6746		10/6/25 10:52		3725'46.8573"N		796'35.0775"W		0.342		1376398.814		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		8.741		100		0		6		47.994		3.367		47.88		Yes		10/6/25 10:52		RTK		30		1.1		0.54		0.95		9122		-1339		Yes		RTK		3D		1.6		2147		0.948		0.85		0.787		2.546				WME		Water Meter

		UP6747		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6747		10/6/25 10:52		3725'46.8730"N		796'35.0909"W		1.927		1376400.741		0		UNKNOWN		58		65536		CLASSIC		OMNI PEAK		140		25.785		100		-3		10		30.999		3.005		3.244		Yes		10/6/25 10:52		RTK		31		1.09		0.53		0.95		9122		-1339		Yes		RTK		3D		1		2147		0.948		0.759		0.709		2.427				WME		Water Meter

		UP6748		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6748		10/6/25 10:54		3725'44.6436"N		796'33.6849"W		252.948		1376653.689		0		UNKNOWN		499		65536		CLASSIC		OMNI PEAK		140		6.804		100		13		10		12.327		-1.346		82.108		Yes		10/6/25 10:54		RTK		30		1.09		0.54		0.95		9426		-1339		Yes		RTK		3D		1.2		2147		1.774		1.05		0.984		4.123				WME		Water Meter

		UP6749		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6749		10/6/25 10:55		3725'43.4563"N		796'32.9182"W		135.367		1376789.056		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		34.572		100		2		7		10.688		3.819		-49.912		Yes		10/6/25 10:55		RTK		31		1.09		0.53		0.95		9545		-1339		Yes		RTK		3D		0.6		2147		1.388		0.672		0.787		3.085				WME		Water Meter

		UP6750		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6750		10/6/25 10:57		3725'41.2778"N		796'31.0114"W		269.158		1377058.214		0		UNKNOWN		33		65536		CLASSIC		OMNI PEAK		140		31.754		100		40		6		9.818		0.249		-52.37		Yes		10/6/25 10:57		RTK		30		1.09		0.54		0.94		9499		-1339		Yes		RTK		3D		1		2147		0.551		0.394		0.472		1.355				WME		Water Meter

		UP6751		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6751		10/6/25 10:58		3725'41.4983"N		796'30.0299"W		82.177		1377140.391		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		3.203		100		26		9		7.772		-0.517		-84.012		Yes		10/6/25 10:58		RTK		31		1.12		0.55		0.98		9521		-1339		Yes		RTK		3D		1.6		2147		1.388		0.85		0.748		3.256				WME		Water Meter

		UP6752		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6752		10/6/25 10:58		3725'41.5246"N		796'29.9942"W		3.92		1377144.31		0		UNKNOWN		315		65536		CLASSIC		OMNI PEAK		140		8.015		100		-1		13		9.835		-1.056		46.904		Yes		10/6/25 10:58		RTK		31		1.12		0.56		0.98		9525		-1339		Yes		RTK		3D		1.2		2147		0.948		0.672		0.709		2.323				WME		Water Meter

		UP6753		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6753		10/6/25 11:02		3725'44.8888"N		796'24.0938"W		585.187		1377729.497		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.014		100		-19		9		6.186		-2.432		-41.884		Yes		10/6/25 11:02		RTK		32		1.13		0.54		0.99		9810		-1339		Yes		RTK		3D		0.8		2147		0.551		0.433		0.512		1.402				WME		Water Meter

		UP6754		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6754		10/6/25 11:03		3725'44.6116"N		796'25.0869"W		84.8		1377814.297		0		UNKNOWN		189		65536		CLASSIC		OMNI PEAK		140		20.299		100		17		10		8.275		-2.065		-2.938		Yes		10/6/25 11:03		RTK		32		1.09		0.54		0.95		9782		-1339		Yes		RTK		3D		0.8		2147		0.948		0.591		0.748		2.233				WME		Water Meter

		UP6755		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6755		10/6/25 11:04		3725'44.2036"N		796'26.3664"W		111.079		1377925.376		0		UNKNOWN		88		65536		CLASSIC		OMNI PEAK		140		30.746		100		-1		9		9.994		0.503		27.155		Yes		10/6/25 11:04		RTK		32		1.06		0.53		0.92		9754		-1339		Yes		RTK		3D		1.2		2147		0.433		0.327		0.394		1.085				WME		Water Meter

		UP6756		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6756		10/6/25 11:05		3725'43.8330"N		796'27.2380"W		79.65		1378005.026		0		UNKNOWN		37		65536		CLASSIC		OMNI PEAK		140		35.717		100		1		12		5.488		-0.063		-37.591		Yes		10/6/25 11:05		RTK		31		1.06		0.53		0.92		9708		-1339		Yes		RTK		3D		1.2		2147		0.759		0.551		0.669		1.875				WME		Water Meter

		UP6757		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6757		10/6/25 11:05		3725'43.2481"N		796'28.2149"W		98.563		1378103.588		0		UNKNOWN		29		65536		CLASSIC		OMNI PEAK		140		39.438		100		-2		7		4.188		0.956		-61.353		Yes		10/6/25 11:05		RTK		32		1.09		0.54		0.95		9628		-1339		Yes		RTK		3D		0.8		2147		1.774		1.05		1.063		4.123				WME		Water Meter

		UP6758		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6758		10/6/25 11:06		3725'42.8427"N		796'29.4069"W		104.471		1378208.06		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		3.318		100		-60		9		13.676		2.34		-81.665		Yes		10/6/25 11:06		RTK		32		1.08		0.53		0.94		9597		-1339		Yes		RTK		3D		1.2		2147		0.591		0.394		0.551		1.42				WME		Water Meter

		UP6759		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6759		10/6/25 11:07		3725'42.8596"N		796'29.3957"W		1.94		1378209.999		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		7.863		100		1		6		32.134		2.477		-55.571		Yes		10/6/25 11:07		RTK		32		1.08		0.54		0.94		9600		-1339		Yes		RTK		3D		1.6		2147		0.759		0.433		0.591		1.747				WME		Water Meter

		UP6760		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6760		10/6/25 11:07		3725'42.8757"N		796'29.3756"W		2.298		1378212.298		0		UNKNOWN		21796		65536		CLASSIC		OMNI PEAK		140		5.861		100		-16		4		28.675		-1.299		74.959		Yes		10/6/25 11:07		RTK		32		1.11		0.55		0.96		9605		-1339		Yes		RTK		3D		1.2		2147		0.85		0.433		0.591		1.909				WME		Water Meter

		UP6761		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6761		10/6/25 11:07		3725'42.8968"N		796'29.2975"W		6.642		1378218.94		0		UNKNOWN		109		65536		CLASSIC		OMNI PEAK		140		13.189		100		27		8		30.38		1.089		-60.784		Yes		10/6/25 11:07		RTK		32		1.11		0.55		0.97		9597		-1339		Yes		RTK		3D		2.2		2147		0.759		0.472		0.63		1.787				WME		Water Meter

		UP6762		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6762		10/6/25 11:08		3725'43.4302"N		796'28.7074"W		72.027		1378290.967		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		3.128		100		-35		11		15.009		3.949		-58.521		Yes		10/6/25 11:08		RTK		31		1.11		0.55		0.96		9639		-1339		Yes		RTK		3D		1.4		2147		1.27		0.672		0.787		2.874				WME		Water Meter

		UP6763		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6763		10/6/25 11:08		3725'43.9536"N		796'28.2044"W		66.795		1378357.762		0		UNKNOWN		29		65536		CLASSIC		OMNI PEAK		140		100		100		7		7		19.363		0.34		-2.236		Yes		10/6/25 11:08		RTK		31		1.08		0.53		0.94		9700		-1339		Yes		RTK		3D		1.4		2147		0.472		0.311		0.394		1.131				WME		Water Meter

		UP6764		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6764		10/6/25 11:09		3725'44.4287"N		796'27.1664"W		96.52		1378454.282		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		2.086		100		13		4		9.109		-0.039		61.79		Yes		10/6/25 11:09		RTK		31		1.08		0.53		0.94		9757		-1339		Yes		RTK		3D		1		2147		0.759		0.433		0.63		1.747				WME		Water Meter

		UP6765		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6765		10/6/25 11:09		3725'44.5975"N		796'26.4587"W		59.536		1378513.817		0		UNKNOWN		71		65536		CLASSIC		OMNI PEAK		140		31.055		100		-11		7		10.405		2.252		42.154		Yes		10/6/25 11:09		RTK		31		1.08		0.53		0.94		9778		-1339		Yes		RTK		3D		1		2147		0.394		0.283		0.394		0.97				WME		Water Meter

		UP6766		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6766		10/6/25 11:10		3725'44.7610"N		796'26.0055"W		40.102		1378553.919		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		8.364		100		-10		10		13.711		-1.423		-34.996		Yes		10/6/25 11:10		RTK		31		1.11		0.55		0.97		9791		-1339		Yes		RTK		3D		1		2147		0.551		0.37		0.472		1.328				WME		Water Meter

		UP6767		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6767		10/6/25 11:11		3725'45.0426"N		796'25.2172"W		69.637		1378623.556		0		UNKNOWN		51		65536		CLASSIC		OMNI PEAK		140		30.184		100		2		10		12.838		-0.748		-9.029		Yes		10/6/25 11:11		RTK		31		1.08		0.53		0.93		9808		-1339		Yes		RTK		3D		0.8		2147		1.388		0.672		0.827		3.085				WME		Water Meter

		UP6768		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6768		10/6/25 11:12		3725'45.2982"N		796'24.8091"W		41.868		1378665.424		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.139		100		26		8		12.126		-2.291		-80.84		Yes		10/6/25 11:12		RTK		32		1.07		0.53		0.93		9835		-1339		Yes		RTK		3D		10		2147		0.948		0.472		0.551		2.118				WME		Water Meter

		UP6769		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6769		10/6/25 11:13		3725'45.4637"N		796'23.6422"W		95.495		1378760.919		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		8.784		100		-6		8		14.872		0.381		-73.284		Yes		10/6/25 11:13		RTK		32		1.07		0.53		0.93		9841		-1339		Yes		RTK		3D		0.8		2147		0.512		0.378		0.591		1.272				WME		Water Meter

		UP6770		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6770		10/6/25 11:14		3725'45.7932"N		796'22.6268"W		88.378		1378849.297		0		UNKNOWN		1430		65536		CLASSIC		OMNI PEAK		140		31.247		100		56		9		12.732		-0.543		-47.048		Yes		10/6/25 11:14		RTK		31		1.11		0.55		0.97		9849		-1339		Yes		RTK		3D		1.2		2147		0.759		0.472		0.591		1.787				WME		Water Meter

		UP6771		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6771		10/6/25 11:14		3725'46.0334"N		796'21.9247"W		61.581		1378910.878		0		UNKNOWN		884		65536		CLASSIC		OMNI PEAK		140		29.746		100		-72		10		9.468		0.13		-67.524		Yes		10/6/25 11:14		RTK		32		1.1		0.55		0.96		9861		-1339		Yes		RTK		3D		1.4		2147		0.591		0.394		0.512		1.42				WME		Water Meter

		UP6772		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6772		10/6/25 11:15		3725'46.4767"N		796'20.1775"W		147.774		1379058.652		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.001		100		-10		9		8.268		3.104		-12.889		Yes		10/6/25 11:15		RTK		32		1.13		0.55		0.99		9897		-1339		Yes		RTK		3D		0.6		2147		0.85		0.551		0.709		2.027				WME		Water Meter

		UP6773		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6773		10/6/25 11:16		3725'46.7078"N		796'19.2742"W		76.451		1379135.102		0		UNKNOWN		27		65536		CLASSIC		OMNI PEAK		140		100		100		9		6		10.712		-0.144		72.336		Yes		10/6/25 11:16		RTK		32		1.07		0.53		0.93		9927		-1339		Yes		RTK		3D		0.8		2147		1.388		0.85		0.866		3.256				WME		Water Meter

		UP6774		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6774		10/6/25 11:20		3725'45.8198"N		796'20.6881"W		145.224		1379280.327		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.091		100		-18		12		4.902		-2.596		44.843		Yes		10/6/25 11:20		RTK		32		1.07		0.53		0.92		9869		-1339		Yes		RTK		3D		1.2		2147		1.388		0.672		0.866		3.085				WME		Water Meter

		UP6775		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6775		10/6/25 11:21		3725'45.7684"N		796'20.9167"W		19.144		1379299.47		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0		100		-6		13		8.486		-0.391		33.099		Yes		10/6/25 11:21		RTK		32		1.11		0.55		0.96		9871		-1339		Yes		RTK		3D		0.8		2147		0.672		0.472		0.63		1.643				WME		Water Meter

		UP6776		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6776		10/6/25 11:21		3725'45.4930"N		796'22.0997"W		99.314		1379398.785		0		UNKNOWN		60		65536		CLASSIC		OMNI PEAK		140		100		100		-13		3		7.854		-1.073		58.741		Yes		10/6/25 11:21		RTK		32		1.25		0.59		1.1		9844		-1339		Yes		RTK		3D		1		2147		0.551		0.472		0.591		1.452				WME		Water Meter

		UP6777		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6777		10/6/25 11:23		3725'43.8438"N		796'22.8236"W		177.181		1379575.966		0		UNKNOWN		405		65536		CLASSIC		OMNI PEAK		140		4.339		100		-35		11		7.648		0.184		-45.911		Yes		10/6/25 11:23		RTK		31		1.14		0.56		0.99		9705		-1339		Yes		RTK		3D		0.8		2147		1.27		0.512		0.748		2.739				WME		Water Meter

		UP6778		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6778		10/6/25 11:24		3725'42.6803"N		796'22.4526"W		121.763		1379697.729		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.254		100		-8		11		8.286		-0.622		-42.166		Yes		10/6/25 11:24		RTK		31		1.12		0.55		0.98		9645		-1339		Yes		RTK		3D		1		2147		0.948		0.472		0.669		2.118				WME		Water Meter

		UP6779		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6779		10/6/25 11:24		3725'42.1845"N		796'22.1518"W		55.834		1379753.563		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.385		100		74		5		9.146		-2.12		-34.155		Yes		10/6/25 11:24		RTK		31		1.12		0.55		0.98		9611		-1339		Yes		RTK		3D		0.8		2147		1.64		0.759		0.866		3.615				WME		Water Meter

		UP6780		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6780		10/6/25 11:25		3725'41.8941"N		796'22.0354"W		30.917		1379784.481		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.83		100		49		8		13.024		-0.386		-51.76		Yes		10/6/25 11:25		RTK		31		1.2		0.56		1.06		9570		-1339		Yes		RTK		3D		1.2		2147		1.774		1.05		1.063		4.123				WME		Water Meter

		UP6781		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6781		10/6/25 11:26		3725'41.9118"N		796'22.0143"W		2.478		1379786.959		0		UNKNOWN		343		65536		CLASSIC		OMNI PEAK		140		27.061		100		21		1		12.672		-1.762		-24.891		Yes		10/6/25 11:26		RTK		31		1.13		0.55		0.98		9571		-1339		Yes		RTK		3D		1.2		2147		0.85		0.512		0.709		1.985				WME		Water Meter

		UP6782		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6782		10/6/25 11:27		3725'41.5946"N		796'21.4287"W		57.109		1379844.068		0		UNKNOWN		35		65536		CLASSIC		OMNI PEAK		140		10.302		100		-42		10		23.652		1.457		6.48		Yes		10/6/25 11:27		RTK		32		1.13		0.55		0.98		9539		-1339		Yes		RTK		3D		1.2		2147		2.058		1.27		1.063		4.837				WME		Water Meter

		UP6783		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6783		10/6/25 11:29		3725'41.7486"N		796'20.6890"W		61.604		1379905.672		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		1.328		100		-21		5		18.519		-0.127		29.127		Yes		10/6/25 11:29		RTK		31		1.13		0.55		0.99		9567		-1339		Yes		RTK		3D		1.4		2147		1.27		0.591		0.787		2.802				WME		Water Meter

		UP6784		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6784		10/6/25 11:30		3725'41.8938"N		796'20.5522"W		18.399		1379924.071		0		UNKNOWN		19		65536		CLASSIC		OMNI PEAK		140		20.146		100		-9		3		6.976		9.104		16.357		Yes		10/6/25 11:30		RTK		32		1.1		0.54		0.96		9596		-1339		Yes		RTK		3D		1.6		2147		1.05		0.551		0.591		2.372				WME		Water Meter

		UP6785		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6785		10/6/25 11:30		3725'41.9212"N		796'20.5405"W		2.933		1379927.003		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.411		100		-15		8		17.237		1.307		70.112		Yes		10/6/25 11:30		RTK		31		1.1		0.54		0.96		9601		-1339		Yes		RTK		3D		1.4		2147		0.433		0.307		0.394		1.062				WME		Water Meter

		UP6786		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6786		10/6/25 11:30		3725'42.1933"N		796'20.5575"W		27.639		1379954.642		0		UNKNOWN		45		65536		CLASSIC		OMNI PEAK		140		57.725		100		4		7		15.127		3.104		-64.246		Yes		10/6/25 11:30		RTK		32		1.04		0.52		0.9		9631		-1339		Yes		RTK		3D		1.4		2147		1.388		0.672		0.709		3.085				WME		Water Meter

		UP6787		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6787		10/6/25 11:31		3725'42.5201"N		796'20.5982"W		33.319		1379987.961		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		15.148		100		28		9		12.359		-0.341		25.406		Yes		10/6/25 11:31		RTK		32		1.04		0.52		0.9		9640		-1339		Yes		RTK		3D		0.6		2147		0.591		0.394		0.512		1.42				WME		Water Meter

		UP6788		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6788		10/6/25 11:32		3725'42.4761"N		796'20.5912"W		4.501		1379992.462		0		UNKNOWN		14		65536		CLASSIC		OMNI PEAK		140		66.728		100		13		12		13.417		-1.104		-68.395		Yes		10/6/25 11:32		RTK		32		1.07		0.53		0.92		9639		-1339		Yes		RTK		3D		1.6		2147		0.433		0.319		0.433		1.076				WME		Water Meter

		UP6789		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6789		10/6/25 11:33		3725'42.8054"N		796'20.9726"W		45.384		1380037.846		0		UNKNOWN		185		65536		CLASSIC		OMNI PEAK		140		30.601		100		-43		9		12.51		2.199		46.229		Yes		10/6/25 11:33		RTK		32		1.1		0.54		0.96		9656		-1339		Yes		RTK		3D		0.8		2147		0.472		0.319		0.433		1.14				WME		Water Meter

		UP6790		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6790		10/6/25 11:34		3725'42.8591"N		796'21.1952"W		18.747		1380056.594		0		UNKNOWN		18		65536		CLASSIC		OMNI PEAK		140		63.221		100		3		12		12.889		-2.793		27.455		Yes		10/6/25 11:34		RTK		32		1.1		0.54		0.96		9659		-1339		Yes		RTK		3D		0.8		2147		0.512		0.343		0.472		1.232				WME		Water Meter

		UP6791		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6791		10/6/25 11:39		3725'46.6409"N		796'6.4029"W		1251.946		1381308.54		0		UNKNOWN		251		65536		CLASSIC		OMNI PEAK		140		5.706		100		-1		10		15.123		2.078		74.885		Yes		10/6/25 11:39		RTK		32		1.05		0.53		0.91		9981		-1339		Yes		RTK		3D		2		2147		0.433		0.283		0.394		1.035				WME		Water Meter

		UP6792		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6792		10/6/25 11:40		3725'45.7047"N		796'7.7710"W		145.498		1381454.038		0		UNKNOWN		156		65536		CLASSIC		OMNI PEAK		140		8.587		100		-1		11		9.35		-0.084		83.433		Yes		10/6/25 11:40		RTK		32		1.05		0.53		0.91		9883		-1339		Yes		RTK		3D		0.8		2147		0.472		0.303		0.394		1.123				WME		Water Meter

		UP6793		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6793		10/6/25 11:44		3725'44.5064"N		796'8.3920"W		131.461		1381585.499		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		4.157		100		-40		11		11.345		1.585		-48.772		Yes		10/6/25 11:45		RTK		32		0.99		0.49		0.85		9898		-1339		Yes		RTK		3D		0.6		2147		0.591		0.382		0.591		1.407				WME		Water Meter

		UP6794		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6794		10/6/25 11:48		3725'41.9364"N		796'6.4348"W		304.699		1381890.198		0		UNKNOWN		1		65536		CLASSIC		OMNI PEAK		140		51.001		100		-3		11		14.429		0.487		21.995		Yes		10/6/25 11:48		RTK		31		1.06		0.51		0.93		9812		-1339		Yes		RTK		3D		1.2		2147		0.85		0.551		0.63		2.027				WME		Water Meter

		UP6795		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6795		10/6/25 11:49		3725'42.0550"N		796'8.2483"W		146.6		1382036.798		0		UNKNOWN		580		65536		CLASSIC		OMNI PEAK		140		4.896		100		-42		9		8.531		2.127		75.546		Yes		10/6/25 11:49		RTK		32		1.09		0.53		0.95		9757		-1339		Yes		RTK		3D		0.4		2147		0.85		0.551		0.63		2.027				WME		Water Meter

		UP6796		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6796		10/6/25 11:50		3725'41.5887"N		796'10.1577"W		160.936		1382197.734		0		UNKNOWN		34		65536		CLASSIC		OMNI PEAK		140		27.324		100		3		12		9.173		2.322		9.028		Yes		10/6/25 11:50		RTK		32		1.02		0.5		0.89		9738		-1339		Yes		RTK		3D		0.8		2147		0.672		0.433		0.591		1.599				WME		Water Meter

		UP6797		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6797		10/6/25 11:53		3725'40.9742"N		796'12.2960"W		183.198		1382380.932		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		3.25		100		138		8		18.289		0.969		78.205		Yes		10/6/25 11:53		RTK		32		0.97		0.48		0.84		9684		-1339		Yes		RTK		3D		1.4		2147		0.591		0.433		0.512		1.465				WME		Water Meter

		UP6798		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6798		10/6/25 11:54		3725'39.6176"N		796'12.0908"W		138.617		1382519.549		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		2.07		100		-2		11		16.172		-1.178		13.966		Yes		10/6/25 11:54		RTK		32		0.97		0.48		0.84		9803		-1339		Yes		RTK		3D		1.4		2147		0.433		0.311		0.394		1.066				WME		Water Meter

		UP6799		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6799		10/6/25 11:55		3725'38.4579"N		796'12.0965"W		117.658		1382637.208		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		69.552		100		-2		13		14.315		1.438		3.703		Yes		10/6/25 11:55		RTK		32		0.97		0.48		0.84		9903		-1339		Yes		RTK		3D		1		2147		0.386		0.307		0.394		0.986				WME		Water Meter

		UP6800		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6800		10/6/25 11:56		3725'39.7568"N		796'12.8169"W		143.997		1382781.204		0		UNKNOWN		338		65536		CLASSIC		OMNI PEAK		140		7.658		100		-2		9		7.49		-2.56		56.055		Yes		10/6/25 11:56		RTK		32		1.08		0.53		0.94		9749		-1339		Yes		RTK		3D		0.6		2147		0.85		0.551		0.591		2.027				WME		Water Meter

		UP6801		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6801		10/6/25 11:57		3725'40.2618"N		796'13.3289"W		65.77		1382846.975		0		UNKNOWN		37		65536		CLASSIC		OMNI PEAK		140		35.826		100		1		6		10.654		3.123		33.23		Yes		10/6/25 11:57		RTK		32		1.01		0.51		0.87		9662		-1339		Yes		RTK		3D		0.8		2147		0.85		0.591		0.591		2.071				WME		Water Meter

		UP6802		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6802		10/6/25 12:01		3725'40.9621"N		796'13.9632"W		87.511		1382934.486		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		100		100		4		9		10.475		2.975		-1.822		Yes		10/6/25 12:01		RTK		32		0.99		0.49		0.86		9574		-1339		Yes		RTK		3D		0.4		2147		0.394		0.287		0.394		0.975				WME		Water Meter

		UP6803		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6803		10/6/25 12:03		3725'43.8537"N		796'16.8675"W		375.238		1383309.724		0		UNKNOWN		38		65536		CLASSIC		OMNI PEAK		140		86.509		100		-6		5		6.071		-0.452		43.28		Yes		10/6/25 12:03		RTK		32		1.12		0.54		0.98		9623		-1339		Yes		RTK		3D		2.4		2147		0.591		0.472		0.63		1.513				WME		Water Meter

		UP6804		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6804		10/6/25 12:04		3725'45.5533"N		796'18.4478"W		214.338		1383524.062		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.046		100		-18		5		7.69		6.267		-78.993		Yes		10/6/25 12:04		RTK		32		1		0.5		0.86		9825		-1339		Yes		RTK		3D		1		2147		0.551		0.394		0.394		1.355				WME		Water Meter

		UP6805		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6805		10/6/25 12:07		3725'45.8328"N		796'18.1475"W		37.273		1383561.335		0		UNKNOWN		146		65536		CLASSIC		OMNI PEAK		140		9.473		100		5		10		13.208		0.316		-34.315		Yes		10/6/25 12:07		RTK		32		1		0.5		0.87		9872		-1339		Yes		RTK		3D		1.2		2147		0.672		0.433		0.394		1.599				WME		Water Meter

		UP6806		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6806		10/6/25 12:07		3725'45.8078"N		796'18.1457"W		2.544		1383563.879		0		UNKNOWN		62		65536		CLASSIC		OMNI PEAK		140		63.681		100		-11		3		13.607		0.776		42.177		Yes		10/6/25 12:07		RTK		32		1.01		0.5		0.88		9860		-1339		Yes		RTK		3D		1.2		2147		0.948		0.512		0.472		2.154				WME		Water Meter

		UP6807		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6807		10/6/25 12:09		3725'45.0134"N		796'17.3918"W		100.912		1383664.79		0		UNKNOWN		16		65536		CLASSIC		OMNI PEAK		140		18.626		100		5		8		11.367		-4.166		-42.42		Yes		10/6/25 12:09		RTK		32		1		0.5		0.86		9727		-1339		Yes		RTK		3D		0.8		2147		0.472		0.374		0.394		1.205				WME		Water Meter

		UP6808		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6808		10/6/25 12:10		3725'44.7253"N		796'17.0744"W		38.839		1383703.63		0		UNKNOWN		28		65536		CLASSIC		OMNI PEAK		140		44.746		100		14		9		10.893		2.746		76.43		Yes		10/6/25 12:10		RTK		32		0.99		0.5		0.86		9694		-1339		Yes		RTK		3D		0.8		2147		0.591		0.35		0.394		1.373				WME		Water Meter

		UP6809		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6809		10/6/25 12:11		3725'43.4218"N		796'15.7635"W		169.236		1383872.866		0		UNKNOWN		2997		65536		CLASSIC		OMNI PEAK		140		5.244		100		-24		2		14.004		-0.714		-76.469		Yes		10/6/25 12:11		RTK		31		0.95		0.49		0.82		9582		-1339		Yes		RTK		3D		0.8		2147		0.512		0.394		0.394		1.291				WME		Water Meter

		UP6810		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6810		10/6/25 12:11		3725'43.4034"N		796'15.7517"W		2.095		1383874.961		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		1.582		100		-25		1		14.367		-0.009		-5.46		Yes		10/6/25 12:11		RTK		32		0.96		0.48		0.83		9581		-1339		Yes		RTK		3D		1.6		2147		0.382		0.315		0.394		0.99				WME		Water Meter

		UP6811		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6811		10/6/25 12:12		3725'42.7619"N		796'15.1336"W		81.945		1383956.905		0		UNKNOWN		83		65536		CLASSIC		OMNI PEAK		140		49.355		100		37		5		11.218		-1.16		72.757		Yes		10/6/25 12:12		RTK		32		0.92		0.47		0.79		9546		-1339		Yes		RTK		3D		0.6		2147		0.551		0.378		0.394		1.337				WME		Water Meter

		UP6812		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6812		10/6/25 12:16		3725'36.8915"N		796'13.8665"W		604.24		1384561.145		0		UNKNOWN		44		65536		CLASSIC		OMNI PEAK		140		29.402		100		1		8		11.188		-0.101		-66.12		Yes		10/6/25 12:16		RTK		32		0.98		0.49		0.84		9856		-1339		Yes		RTK		3D		1.6		2147		0.591		0.472		0.472		1.513				WME		Water Meter

		UP6813		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6813		10/6/25 12:17		3725'36.2360"N		796'14.8868"W		105.728		1384666.874		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		5.29		100		-31		10		23.705		1.481		-11.116		Yes		10/6/25 12:17		RTK		31		1.02		0.5		0.89		9843		-1339		Yes		RTK		3D		1.6		2147		0.551		0.433		0.433		1.402				WME		Water Meter

		UP6814		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6814		10/6/25 12:20		3725'33.9813"N		796'16.8089"W		276.225		1384943.098		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		4.706		100		4		8		11.41		-2.024		28.836		Yes		10/6/25 12:20		RTK		30		1.07		0.53		0.93		9650		-1339		Yes		RTK		3D		1		2147		0.672		0.472		0.551		1.643				WME		Water Meter

		UP6815		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6815		10/6/25 12:20		3725'33.9414"N		796'16.8704"W		6.398		1384949.496		0		UNKNOWN		72		65536		CLASSIC		OMNI PEAK		140		12.641		100		-14		5		9.349		4.603		-6.56		Yes		10/6/25 12:20		RTK		31		1.07		0.52		0.93		9648		-1339		Yes		RTK		3D		1.4		2147		1.157		0.591		0.748		2.599				WME		Water Meter

		UP6816		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6816		10/6/25 12:21		3725'33.6391"N		796'18.7039"W		150.869		1385100.365		0		UNKNOWN		34		65536		CLASSIC		OMNI PEAK		140		8.311		100		41		9		9.778		-3.874		-32.399		Yes		10/6/25 12:21		RTK		32		1.06		0.52		0.92		9548		-1339		Yes		RTK		3D		1.8		2147		0.672		0.433		0.433		1.599				WME		Water Meter

		UP6817		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6817		10/6/25 12:24		3725'34.5329"N		796'24.1036"W		444.379		1385544.744		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		5.675		100		0		13		9.792		-0.259		16.511		Yes		10/6/25 12:24		RTK		32		1.14		0.55		1		9283		-1339		Yes		RTK		3D		1		2147		0.948		0.591		0.748		2.233				WME		Water Meter

		UP6818		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6818		10/6/25 12:24		3725'34.3735"N		796'23.3474"W		63.035		1385607.778		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		5.134		100		-4		10		12.62		-2.678		33.614		Yes		10/6/25 12:24		RTK		32		1.06		0.52		0.92		9347		-1339		Yes		RTK		3D		1.6		2147		1.05		0.591		0.63		2.409				WME		Water Meter

		UP6819		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6819		10/6/25 12:26		3725'34.2884"N		796'22.6071"W		60.26		1385668.038		0		UNKNOWN		25		65536		CLASSIC		OMNI PEAK		140		16.173		100		-3		10		10.807		-0.042		-9.232		Yes		10/6/25 12:26		RTK		32		1.06		0.52		0.93		9463		-1339		Yes		RTK		3D		1.2		2147		0.85		0.512		0.551		1.985				WME		Water Meter

		UP6820		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6820		10/6/25 12:26		3725'34.1172"N		796'21.0724"W		124.857		1385792.895		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		2.811		100		-1		12		16.404		-2.516		-66.717		Yes		10/6/25 12:26		RTK		32		1.04		0.52		0.9		9479		-1339		Yes		RTK		3D		0.6		2147		0.672		0.512		0.551		1.689				WME		Water Meter

		UP6821		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6821		10/6/25 12:27		3725'34.1789"N		796'20.8721"W		17.314		1385810.209		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		13.624		100		0		11		12.827		-2.475		-9.014		Yes		10/6/25 12:28		RTK		32		1.04		0.51		0.9		9542		-1339		Yes		RTK		3D		1.2		2147		0.85		0.551		0.551		2.027				WME		Water Meter

		UP6822		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6822		10/6/25 12:28		3725'34.2231"N		796'19.2475"W		130.961		1385941.17		0		UNKNOWN		438		65536		CLASSIC		OMNI PEAK		140		11.626		100		-11		8		8.496		-2.147		-66.72		Yes		10/6/25 12:28		RTK		32		1.1		0.55		0.96		9557		-1339		Yes		RTK		3D		1		2147		0.512		0.35		0.394		1.241				WME		Water Meter

		UP6823		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6823		10/6/25 12:34		3725'36.3032"N		796'13.1159"W		537.184		1386478.354		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		10.561		100		-34		10		17.197		-0.002		-58.862		Yes		10/6/25 12:34		RTK		32		1		0.49		0.88		9953		-1339		Yes		RTK		3D		1.4		2147		1.05		0.512		0.512		2.336				WME		Water Meter

		UP6824		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6824		10/6/25 12:36		3725'35.5407"N		796'13.7942"W		94.714		1386573.068		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		26.905		100		2		11		11.771		1.067		-69.854		Yes		10/6/25 12:36		RTK		32		1.04		0.53		0.9		9956		-1339		Yes		RTK		3D		0.8		2147		1.64		0.551		0.551		3.461				WME		Water Meter

		UP6825		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6825		10/6/25 12:36		3725'35.4831"N		796'13.8274"W		6.424		1386579.491		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		6.949		100		-2		12		13.08		0.771		-63.553		Yes		10/6/25 12:36		RTK		32		1.07		0.56		0.91		9957		-1339		Yes		RTK		3D		0.8		2147		1.157		0.551		0.551		2.564				WME		Water Meter

		UP6826		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6826		10/6/25 12:47		3725'8.8172"N		796'31.3472"W		3051.386		1389630.878		0		UNKNOWN		17		65536		CLASSIC		OMNI PEAK		140		19.945		100		-6		9		7.053		-3.346		10.454		Yes		10/6/25 12:47		RTK		31		1.02		0.49		0.89		8801		-1339		Yes		RTK		3D		0.6		2147		0.512		0.512		0.472		1.448				WME		Water Meter

		UP6827		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6827		10/6/25 12:48		3725'8.2530"N		796'31.2382"W		57.903		1389688.781		0		UNKNOWN		25		65536		CLASSIC		OMNI PEAK		140		18.786		100		-17		5		9.047		1.259		8.684		Yes		10/6/25 12:48		RTK		32		1.03		0.5		0.89		8812		-1339		Yes		RTK		3D		1.4		2147		0.85		0.672		0.591		2.168				WME		Water Meter

		UP6828		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6828		10/6/25 12:49		3725'9.9149"N		796'31.0884"W		169.023		1389857.804		0		UNKNOWN		51		65536		CLASSIC		OMNI PEAK		140		16.892		100		1		12		6.972		-0.625		20.565		Yes		10/6/25 12:49		RTK		32		1.02		0.51		0.89		8849		-1339		Yes		RTK		3D		9		2147		1.27		0.672		0.709		2.874				WME		Water Meter

		UP6829		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6829		10/6/25 12:50		3725'10.1963"N		796'30.1921"W		77.656		1389935.459		0		UNKNOWN		4		65536		CLASSIC		OMNI PEAK		140		27.601		100		-12		10		10.467		3.23		-30.082		Yes		10/6/25 12:50		RTK		32		1.03		0.5		0.9		8899		-1339		Yes		RTK		3D		0.6		2147		1.27		0.551		0.551		2.77				WME		Water Meter

		UP6830		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6830		10/6/25 12:53		3725'16.9187"N		796'28.0530"W		703.43		1390638.889		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		21.825		100		-6		10		9.52		-1.633		8.948		Yes		10/6/25 12:53		RTK		32		1.07		0.5		0.94		8994		-1339		Yes		RTK		3D		0.8		2147		0.551		0.472		0.433		1.452				WME		Water Meter

		UP6831		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6831		10/6/25 12:54		3725'16.1798"N		796'28.4929"W		82.918		1390721.808		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		40.999		100		0		12		9.633		2.599		-32.434		Yes		10/6/25 12:54		RTK		31		1.06		0.5		0.93		8953		-1339		Yes		RTK		3D		0.8		2147		0.672		0.551		0.512		1.738				WME		Water Meter

		UP6832		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6832		10/6/25 12:56		3725'15.1283"N		796'29.0153"W		114.672		1390836.48		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		6.514		100		0		10		8.95		0.469		-75.126		Yes		10/6/25 12:56		RTK		32		0.99		0.47		0.87		8864		-1339		Yes		RTK		3D		1.4		2147		0.759		0.672		0.551		2.027				WME		Water Meter

		UP6833		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6833		10/6/25 12:57		3725'12.9926"N		796'29.8687"W		227.315		1391063.795		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		19.499		100		-7		9		11.227		-1.723		42.769		Yes		10/6/25 12:57		RTK		32		1.09		0.51		0.96		8760		-1339		Yes		RTK		3D		0.8		2147		0.948		0.759		0.63		2.427				WME		Water Meter

		UP6834		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6834		10/6/25 12:59		3725'11.6280"N		796'30.4418"W		145.943		1391209.738		0		UNKNOWN		209		65536		CLASSIC		OMNI PEAK		140		6.56		100		-1		12		6.427		1.3		-42.629		Yes		10/6/25 12:59		RTK		32		0.98		0.47		0.86		8784		-1339		Yes		RTK		3D		4		2147		0.672		0.472		0.472		1.643				WME		Water Meter

		UP6835		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6835		10/6/25 13:00		3725'11.7132"N		796'29.5123"W		75.387		1391285.125		0		UNKNOWN		15		65536		CLASSIC		OMNI PEAK		140		28.606		100		-2		10		9.885		0.41		-33.356		Yes		10/6/25 13:00		RTK		32		0.98		0.47		0.86		8873		-1339		Yes		RTK		3D		0.8		2147		0.433		0.37		0.394		1.139				WME		Water Meter

		UP6836		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6836		10/6/25 13:01		3725'13.1968"N		796'28.9561"W		157.036		1391442.161		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		3.913		100		8		11		10.544		0.318		3.759		Yes		10/6/25 13:01		RTK		32		0.98		0.48		0.86		8898		-1339		Yes		RTK		3D		1		2147		0.672		0.512		0.472		1.689				WME		Water Meter

		UP6837		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6837		10/6/25 13:05		3725'21.1550"N		796'23.5120"W		918.823		1392360.983		0		UNKNOWN		34		65536		CLASSIC		OMNI PEAK		140		89.631		100		-6		4		9.913		-1.672		88.948		Yes		10/6/25 13:05		RTK		32		1		0.49		0.87		9177		-1339		Yes		RTK		3D		1.4		2147		0.394		0.394		0.394		1.114				WME		Water Meter

		UP6838		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6838		10/6/25 13:06		3725'19.7730"N		796'23.5049"W		140.202		1392501.185		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		11.748		100		-25		7		10.219		2.222		-12.893		Yes		10/6/25 13:06		RTK		32		1.05		0.52		0.91		9146		-1339		Yes		RTK		3D		1.6		2147		1.27		0.759		0.669		2.959				WME		Water Meter

		UP6839		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6839		10/6/25 13:07		3725'19.6189"N		796'24.6003"W		89.633		1392590.818		0		UNKNOWN		62		65536		CLASSIC		OMNI PEAK		140		19.486		100		-10		9		8.237		1.302		72.636		Yes		10/6/25 13:07		RTK		32		0.99		0.49		0.86		9087		-1339		Yes		RTK		3D		1.4		2147		0.472		0.433		0.433		1.282				WME		Water Meter

		UP6840		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6840		10/6/25 13:07		3725'18.3883"N		796'25.4656"W		142.985		1392733.803		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		3.395		100		-1		11		14.141		-5.21		-77.57		Yes		10/6/25 13:08		RTK		32		0.99		0.49		0.86		9037		-1339		Yes		RTK		3D		0.6		2147		0.551		0.472		0.433		1.452				WME		Water Meter

		UP6841		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6841		10/6/25 13:08		3725'18.7290"N		796'26.0071"W		55.664		1392789.467		0		UNKNOWN		6151		65536		CLASSIC		OMNI PEAK		140		10.451		100		0		11		7.936		0.686		-69.118		Yes		10/6/25 13:08		RTK		32		0.99		0.49		0.86		9008		-1339		Yes		RTK		3D		1.6		2147		0.759		0.394		0.433		1.709				WME		Water Meter

		UP6842		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6842		10/6/25 13:13		3725'28.8929"N		796'24.3997"W		1039.229		1393828.696		0		UNKNOWN		35		65536		CLASSIC		OMNI PEAK		140		34.755		100		17		10		12.192		-2.666		45.232		Yes		10/6/25 13:14		RTK		32		0.99		0.5		0.85		9551		-1339		Yes		RTK		3D		0.8		2147		0.512		0.386		0.394		1.282				WME		Water Meter

		UP6843		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6843		10/6/25 13:14		3725'29.4913"N		796'24.9253"W		74.015		1393902.711		0		UNKNOWN		36		65536		CLASSIC		OMNI PEAK		140		18.008		100		-2		13		6.745		-0.632		-26.697		Yes		10/6/25 13:14		RTK		32		1.04		0.52		0.9		9528		-1339		Yes		RTK		3D		1.2		2147		0.672		0.472		0.472		1.643				WME		Water Meter

		UP6844		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6844		10/6/25 13:15		3725'28.2185"N		796'24.8107"W		129.449		1394032.16		0		UNKNOWN		160		65536		CLASSIC		OMNI PEAK		140		16.074		100		1		10		9.262		-2.221		60.491		Yes		10/6/25 13:15		RTK		32		1.05		0.52		0.91		9578		-1339		Yes		RTK		3D		1		2147		0.472		0.35		0.394		1.176				WME		Water Meter

		UP6845		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6845		10/6/25 13:16		3725'27.8305"N		796'24.3215"W		55.705		1394087.865		0		UNKNOWN		26		65536		CLASSIC		OMNI PEAK		140		100		100		-1		1		6.457		-1.083		-23.94		Yes		10/6/25 13:16		RTK		32		1.01		0.5		0.87		9597		-1339		Yes		RTK		3D		0.6		2147		0.551		0.512		0.512		1.504				WME		Water Meter

		UP6846		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6846		10/6/25 13:17		3725'26.1840"N		796'24.7276"W		170.21		1394258.075		0		UNKNOWN		27		65536		CLASSIC		OMNI PEAK		140		29.526		100		6		9		8.509		0.092		25.527		Yes		10/6/25 13:17		RTK		32		1.02		0.51		0.89		9600		-1339		Yes		RTK		3D		1.6		2147		0.591		0.472		0.512		1.513				WME		Water Meter

		UP6847		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6847		10/6/25 13:17		3725'26.1246"N		796'24.0650"W		53.721		1394311.796		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.005		100		92		7		7.229		0.172		-22.07		Yes		10/6/25 13:17		RTK		32		1		0.5		0.87		9616		-1339		Yes		RTK		3D		0.8		2147		0.472		0.386		0.394		1.22				WME		Water Meter

		UP6848		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6848		10/6/25 13:19		3725'24.5173"N		796'24.2605"W		163.819		1394475.616		0		UNKNOWN		24		65536		CLASSIC		OMNI PEAK		140		99.033		100		-10		9		15.301		-5.294		0.499		Yes		10/6/25 13:19		RTK		32		0.99		0.5		0.86		9478		-1339		Yes		RTK		3D		1		2147		0.591		0.551		0.512		1.616				WME		Water Meter

		UP6849		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6849		10/6/25 13:19		3725'24.0407"N		796'23.6489"W		69.037		1394544.653		0		UNKNOWN		135		65536		CLASSIC		OMNI PEAK		140		8.588		100		-13		6		10.324		-3.977		76.765		Yes		10/6/25 13:19		RTK		32		0.99		0.5		0.85		9441		-1339		Yes		RTK		3D		1.2		2147		0.948		0.591		0.551		2.233				WME		Water Meter

		UP6850		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6850		10/6/25 13:20		3725'23.7613"N		796'24.0710"W		44.272		1394588.925		0		UNKNOWN		19		65536		CLASSIC		OMNI PEAK		140		28.371		100		-9		7		14.228		1.424		21.886		Yes		10/6/25 13:20		RTK		32		1.02		0.52		0.88		9419		-1339		Yes		RTK		3D		2.6		2147		1.05		0.512		0.591		2.336				WME		Water Meter

		UP6851		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6851		10/6/25 13:21		3725'23.1184"N		796'23.4194"W		83.726		1394672.651		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		46.41		100		-2		13		4.924		1.515		-3.2		Yes		10/6/25 13:21		RTK		31		0.99		0.5		0.85		9361		-1339		Yes		RTK		3D		1.4		2147		0.591		0.472		0.472		1.513				WME		Water Meter

		UP6852		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6852		10/6/25 13:21		3725'22.9800"N		796'23.9446"W		44.582		1394717.234		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		5.133		100		-1		10		10.36		-0.358		-80.36		Yes		10/6/25 13:21		RTK		31		0.98		0.5		0.85		9345		-1339		Yes		RTK		3D		1.4		2147		0.433		0.433		0.394		1.225				WME		Water Meter

		UP6853		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6853		10/6/25 13:22		3725'22.2747"N		796'23.2941"W		88.695		1394805.928		0		UNKNOWN		31		65536		CLASSIC		OMNI PEAK		140		25.897		100		-6		10		6.89		-3.251		83.377		Yes		10/6/25 13:22		RTK		32		0.98		0.5		0.84		9272		-1339		Yes		RTK		3D		1.4		2147		0.472		0.374		0.394		1.205				WME		Water Meter

		UP6854		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6854		10/6/25 13:23		3725'21.8624"N		796'23.6411"W		50.314		1394856.243		0		UNKNOWN		30		65536		CLASSIC		OMNI PEAK		140		100		100		5		5		20.473		-1.84		0.93		Yes		10/6/25 13:23		RTK		32		0.98		0.5		0.84		9260		-1339		Yes		RTK		3D		1.4		2147		0.472		0.394		0.394		1.23				WME		Water Meter

		UP6855		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6855		10/6/25 13:34		3725'30.9678"N		796'24.9901"W		930.122		1395786.364		0		UNKNOWN		1130		65536		CLASSIC		OMNI PEAK		140		7.753		100		35		6		9.928		-1.092		60.525		Yes		10/6/25 13:34		RTK		32		0.94		0.52		0.78		9453		-1339		Yes		RTK		3D		1		2147		1.05		0.672		0.591		2.493				WME		Water Meter

		UP6856		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6856		10/6/25 13:35		3725'32.0675"N		796'25.1822"W		112.633		1395898.998		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		2.822		100		24		10		10.871		-1.617		-23.529		Yes		10/6/25 13:35		RTK		32		0.93		0.52		0.77		9447		-1339		Yes		RTK		3D		0.8		2147		0.512		0.433		0.394		1.341				WME		Water Meter

		UP6857		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6857		10/6/25 13:36		3725'33.1714"N		796'24.3591"W		130.15		1396029.147		0		UNKNOWN		101		65536		CLASSIC		OMNI PEAK		140		16.135		100		-1		12		8.18		0.372		83.04		Yes		10/6/25 13:37		RTK		32		0.94		0.53		0.78		9445		-1339		Yes		RTK		3D		1.4		2147		3.402		2.688		1.181		8.67				WME		Water Meter

		UP6858		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6858		10/7/25 10:44		3725'18.5482"N		796'3.1671"W		2261.875		1398291.022		0		UNKNOWN		49		65536		CLASSIC		OMNI PEAK		140		69.176		100		-3		12		10.715		3.163		-50.266		Yes		10/7/25 10:44		RTK		25		1.22		0.6		1.06		9198		-1339		Yes		RTK		3D		1.8		3255		0.672		0.591		0.591		1.789				WME		Water Meter

		UP6859		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6859		10/7/25 10:45		3725'16.5553"N		796'2.7605"W		204.822		1398495.844		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		1.079		100		20		9		10.606		-1.055		18.046		Yes		10/7/25 10:45		RTK		27		1.22		0.6		1.06		9160		-1339		Yes		RTK		3D		0.6		3255		0.672		0.591		0.591		1.789				WME		Water Meter

		UP6860		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6860		10/7/25 10:46		3725'15.6923"N		796'1.8701"W		113.189		1398609.034		0		UNKNOWN		63		65536		CLASSIC		OMNI PEAK		140		88.927		100		24		4		9.135		2.709		64.315		Yes		10/7/25 10:46		RTK		27		1.22		0.6		1.06		9169		-1339		Yes		RTK		3D		4.2		3255		1.27		0.759		0.669		2.959				WME		Water Meter

		UP6861		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6861		10/7/25 10:47		3725'15.3366"N		796'2.2413"W		46.861		1398655.895		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		140		100		100		-5		3		13.501		-2.29		-10.185		Yes		10/7/25 10:47		RTK		28		1.15		0.57		1		9187		-1339		Yes		RTK		3D		2.2		3255		0.591		0.551		0.591		1.616				WME		Water Meter

		UP6862		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6862		10/7/25 10:47		3725'15.1055"N		796'2.0877"W		26.518		1398682.413		0		UNKNOWN		54		65536		CLASSIC		OMNI PEAK		140		68.509		100		-1		9		10.294		0.456		-10.309		Yes		10/7/25 10:47		RTK		30		1.15		0.57		1		9197		-1339		Yes		RTK		3D		1.4		3255		1.157		1.05		0.748		3.125				WME		Water Meter

		UP6863		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6863		10/7/25 10:48		3725'14.3271"N		796'1.5366"W		90.596		1398773.009		0		UNKNOWN		35		65536		CLASSIC		OMNI PEAK		140		16.277		100		-4		10		14.182		-3.114		45.851		Yes		10/7/25 10:48		RTK		30		1.15		0.57		1		9205		-1339		Yes		RTK		3D		1		3255		0.591		0.551		0.512		1.616				WME		Water Meter

		UP6864		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6864		10/7/25 10:48		3725'14.5522"N		796'1.1821"W		36.574		1398809.583		0		UNKNOWN		66		65536		CLASSIC		OMNI PEAK		140		100		100		28		3		7.503		0.959		44.239		Yes		10/7/25 10:48		RTK		30		1.15		0.57		1		9168		-1339		Yes		RTK		3D		1.4		3255		0.948		0.672		0.591		2.323				WME		Water Meter

		UP6865		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6865		10/7/25 10:51		3725'20.1763"N		796'2.8617"W		586.401		1399395.984		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0		100		-54		3		8.995		-0.255		29.36		Yes		10/7/25 10:51		RTK		30		1.15		0.57		0.99		9216		-1339		Yes		RTK		3D		1.8		3255		0.85		0.591		0.551		2.071				WME		Water Meter

		UP6866		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6866		10/7/25 10:51		3725'21.3233"N		796'3.0348"W		117.199		1399513.183		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.77		100		85		9		8.534		1.414		19.837		Yes		10/7/25 10:52		RTK		30		1.22		0.6		1.06		9264		-1339		Yes		RTK		3D		1		3255		0.85		0.672		0.551		2.168				WME		Water Meter

		UP6867		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6867		10/7/25 10:54		3725'24.3345"N		796'3.4835"W		307.613		1399820.796		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		2.94		100		-125		2		9.896		-1.902		-87.392		Yes		10/7/25 10:54		RTK		30		1.14		0.57		0.99		9450		-1339		Yes		RTK		3D		1		3255		0.948		0.672		0.551		2.323				WME		Water Meter

		UP6868		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6868		10/7/25 10:54		3725'25.1565"N		796'3.6205"W		84.125		1399904.922		0		UNKNOWN		89		65536		CLASSIC		OMNI PEAK		140		100		100		-34		12		11.636		-1.808		-13.842		Yes		10/7/25 10:54		RTK		30		1.14		0.57		0.99		9496		-1339		Yes		RTK		3D		0.8		3255		0.672		0.551		0.512		1.738				WME		Water Meter

		UP6869		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6869		10/7/25 10:59		3725'24.3292"N		796'3.9905"W		89.065		1399993.987		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.302		100		-2		14		10.676		-2.012		82.007		Yes		10/7/25 10:59		RTK		30		1.12		0.56		0.97		9439		-1339		Yes		RTK		3D		1.6		3255		0.591		0.433		0.433		1.465				WME		Water Meter

		UP6870		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6870		10/7/25 11:23		3725'27.7512"N		796'4.5244"W		349.809		1400343.796		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		2.366		100		33		6		11.324		0.627		-18.32		Yes		10/7/25 11:23		RTK		31		1.17		0.57		1.03		9736		-1339		Yes		RTK		3D		1.4		3255		0.85		0.551		0.591		2.027				WME		Water Meter

		UP6871		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6871		10/7/25 11:24		3725'29.6574"N		796'5.3454"W		204.391		1400548.187		0		UNKNOWN		82		65536		CLASSIC		OMNI PEAK		140		8.753		100		-185		8		10.782		-2.076		30.572		Yes		10/7/25 11:24		RTK		32		1.08		0.52		0.94		9885		-1339		Yes		RTK		3D		1.8		3255		0.948		0.512		0.551		2.154				WME		Water Meter

		UP6872		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6872		10/7/25 11:25		3725'30.2507"N		796'6.4370"W		106.572		1400654.759		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		9.688		100		-27		7		11.128		1.071		52.113		Yes		10/7/25 11:25		RTK		32		1.08		0.52		0.94		9973		-1339		Yes		RTK		3D		1		3255		0.472		0.354		0.394		1.181				WME		Water Meter

		UP6873		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6873		10/7/25 11:27		3725'32.4601"N		796'7.5973"W		242.854		1400897.613		0		UNKNOWN		13		65536		CLASSIC		OMNI PEAK		140		33.248		100		-1		8		13.844		-1.3		23.144		Yes		10/7/25 11:27		RTK		32		1.08		0.52		0.94		10196		-1339		Yes		RTK		3D		1.2		3255		1.05		0.672		0.669		2.493				WME		Water Meter

		UP6874		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6874		10/7/25 11:28		3725'33.5204"N		796'8.0950"W		114.805		1401012.417		0		UNKNOWN		915		65536		CLASSIC		OMNI PEAK		140		8.087		100		5		11		20.139		-0.621		67.502		Yes		10/7/25 11:28		RTK		32		1.13		0.53		0.99		10200		-1339		Yes		RTK		3D		0.6		3255		1.05		0.759		0.709		2.59				WME		Water Meter

		UP6875		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6875		10/7/25 11:29		3725'33.8123"N		796'8.2870"W		33.405		1401045.822		0		UNKNOWN		81		65536		CLASSIC		OMNI PEAK		140		14.966		100		30		10		12.364		0.62		-23.23		Yes		10/7/25 11:29		RTK		32		1.13		0.53		0.99		10181		-1339		Yes		RTK		3D		1.6		3255		1.388		0.948		0.827		3.362				WME		Water Meter

		UP6876		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6876		10/7/25 11:29		3725'34.6293"N		796'8.6847"W		88.87		1401134.692		0		UNKNOWN		109		65536		CLASSIC		OMNI PEAK		140		21.009		100		27		12		9.123		-8.611		-70.983		Yes		10/7/25 11:30		RTK		32		1.12		0.53		0.98		10139		-1339		Yes		RTK		3D		1.4		3255		1.157		0.948		0.827		2.992				WME		Water Meter

		UP6877		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6877		10/7/25 11:30		3725'35.9608"N		796'8.8108"W		135.463		1401270.155		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		20.004		100		29		5		8.875		2.175		80.253		Yes		10/7/25 11:30		RTK		30		1.14		0.54		1		10059		-1339		Yes		RTK		3D		0.8		3255		1.388		0.948		0.827		3.362				WME		Water Meter

		UP6878		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6878		10/7/25 11:32		3725'37.9230"N		796'10.3580"W		234.865		1401505.02		0		UNKNOWN		21		65536		CLASSIC		OMNI PEAK		140		49.652		100		1		6		8.999		-0.938		21.261		Yes		10/7/25 11:32		FLOAT RTK		32		1.11		0.53		0.98		9947		-1339		Yes		FLOAT RTK		3D		0.6		3255		2.393		1.841		0.472		6.037				WME		Water Meter

		UP6879		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6879		10/7/25 11:33		3725'37.4003"N		796'10.6742"W		58.828		1401563.848		0		UNKNOWN		21		65536		CLASSIC		OMNI PEAK		140		65.384		100		2		9		13.977		0.057		-50.347		Yes		10/7/25 11:33		RTK		32		1.11		0.53		0.97		9982		-1339		Yes		RTK		3D		0.6		3255		0.672		0.394		0.394		1.558				WME		Water Meter

		UP6880		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6880		10/7/25 11:37		3725'18.6019"N		796'2.7299"W		2011.646		1403575.494		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		37.628		100		59		10		9.934		-1.673		-36.292		Yes		10/7/25 11:37		RTK		32		1.09		0.53		0.95		9183		-1339		Yes		RTK		3D		1		3255		0.948		0.551		0.591		2.192				WME		Water Meter

		UP6881		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6881		10/9/25 16:05		3725'56.8016"N		796'29.5542"W		0		1403575.494		0		UNKNOWN		35		65536		CLASSIC		OMNI PEAK		140		83.73		100		-10		10		9.594		-2.859		-84.677		Yes		10/9/25 16:05		RTK		26		1.25		0.65		1.07		9090		-1339		Yes		RTK		3D		1.2		3003		1.05		0.759		0.551		2.59				WME		Water Meter

		UP6882		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6882		10/9/25 16:06		3725'56.9252"N		796'30.5009"W		77.285		1403652.778		0		UNKNOWN		49		65536		CLASSIC		OMNI PEAK		140		78.078		100		0		7		6.279		1.763		-52.917		Yes		10/9/25 16:06		RTK		29		1.25		0.65		1.07		9048		-1339		Yes		RTK		3D		0.8		3003		0.512		0.394		0.394		1.291				WME		Water Meter

		UP6883		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6883		10/9/25 16:06		3725'56.9818"N		796'31.3739"W		70.566		1403723.344		0		UNKNOWN		28		65536		CLASSIC		OMNI PEAK		140		100		100		5		6		8.281		-6.198		-46.184		Yes		10/9/25 16:06		RTK		29		1.25		0.65		1.07		9003		-1339		Yes		RTK		3D		1.8		3003		0.433		0.335		0.394		1.095				WME		Water Meter

		UP6884		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6884		10/9/25 16:07		3725'57.0590"N		796'33.7904"W		194.824		1403918.168		0		UNKNOWN		44		65536		CLASSIC		OMNI PEAK		140		99.75		100		-6		11		11.884		1.524		-28.579		Yes		10/9/25 16:07		RTK		29		1.25		0.65		1.06		8925		-1339		Yes		RTK		3D		1.6		3003		0.551		0.433		0.394		1.402				WME		Water Meter

		UP6885		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6885		10/9/25 16:08		3725'57.0772"N		796'34.7728"W		79.163		1403997.33		0		UNKNOWN		25		65536		CLASSIC		OMNI PEAK		140		76.678		100		-4		12		9.263		-0.294		-41.552		Yes		10/9/25 16:08		RTK		30		1.17		0.64		0.98		8888		-1339		Yes		RTK		3D		1.4		3003		1.05		0.551		0.512		2.372				WME		Water Meter

		UP6886		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6886		10/9/25 16:09		3725'57.0731"N		796'36.1055"W		107.365		1404104.696		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		4.587		100		-4		10		3.854		-3.551		-55.394		Yes		10/9/25 16:09		RTK		30		1.17		0.64		0.98		8837		-1339		Yes		RTK		3D		0.8		3003		1.388		0.672		0.591		3.085				WME		Water Meter

		UP6887		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6887		10/9/25 16:09		3725'57.1399"N		796'36.7912"W		55.653		1404160.349		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		28.367		100		1		12		13.305		-2.328		9.037		Yes		10/9/25 16:09		RTK		30		1.29		0.7		1.08		8803		-1339		Yes		RTK		3D		1.4		3003		0.433		0.311		0.394		1.066				WME		Water Meter

		UP6888		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6888		10/9/25 16:10		3725'57.0764"N		796'38.2879"W		120.739		1404281.088		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		5.697		100		2		10		17.593		-5.004		-87.962		Yes		10/9/25 16:10		RTK		30		1.29		0.71		1.09		8694		-1339		Yes		RTK		3D		1		3003		1.05		0.672		0.63		2.493				WME		Water Meter

		UP6889		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6889		10/9/25 16:12		3725'57.0758"N		796'40.2192"W		155.59		1404436.678		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		25.209		100		-18		11		10.968		1.482		26.44		Yes		10/9/25 16:12		RTK		30		1.3		0.71		1.09		8468		-1339		Yes		RTK		3D		1.2		3003		0.759		0.672		0.512		2.027				WME		Water Meter

		UP6890		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6890		10/9/25 16:12		3725'56.7801"N		796'39.6731"W		53.254		1404489.932		0		UNKNOWN		37		65536		CLASSIC		OMNI PEAK		140		20.995		100		4		10		9.663		-1.378		-32.565		Yes		10/9/25 16:12		RTK		29		1.3		0.71		1.09		8531		-1339		Yes		RTK		3D		0.8		3003		0.759		0.551		0.472		1.875				WME		Water Meter

		UP6891		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6891		10/9/25 16:13		3725'56.5144"N		796'38.8713"W		69.982		1404559.913		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		50.532		100		1		11		10.714		-4.075		9.881		Yes		10/9/25 16:13		RTK		29		1.3		0.71		1.09		8566		-1339		Yes		RTK		3D		1.2		3003		0.672		0.512		0.433		1.689				WME		Water Meter

		UP6892		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6892		10/9/25 16:13		3725'56.3266"N		796'37.9298"W		78.207		1404638.12		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		10.59		100		-59		7		10.983		-4.035		-55.436		Yes		10/9/25 16:14		RTK		30		1.3		0.71		1.09		8623		-1339		Yes		RTK		3D		1		3003		1.512		0.759		0.63		3.383				WME		Water Meter

		UP6893		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6893		10/9/25 16:21		3725'56.4696"N		796'35.5672"W		190.882		1404829.003		0		UNKNOWN		41		65536		CLASSIC		OMNI PEAK		140		56.189		100		8		5		11.959		-0.464		-82.531		Yes		10/9/25 16:21		RTK		28		1.31		0.73		1.09		8804		-1339		Yes		RTK		3D		2		3003		0.512		0.394		0.394		1.291				WME		Water Meter

		UP6894		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6894		10/9/25 16:22		3725'56.5143"N		796'33.5644"W		161.403		1404990.406		0		UNKNOWN		30		65536		CLASSIC		OMNI PEAK		140		100		100		0		2		10.697		-1.953		-76.526		Yes		10/9/25 16:22		RTK		29		1.31		0.73		1.08		8894		-1339		Yes		RTK		3D		1.2		3003		0.591		0.35		0.394		1.373				WME		Water Meter

		UP6895		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6895		10/9/25 16:23		3725'56.4898"N		796'32.4684"W		88.327		1405078.733		0		UNKNOWN		62		65536		CLASSIC		OMNI PEAK		140		88.292		100		-4		6		9.032		-4.511		-53.268		Yes		10/9/25 16:23		RTK		29		1.31		0.73		1.08		8936		-1339		Yes		RTK		3D		1		3003		0.551		0.323		0.394		1.278				WME		Water Meter

		UP6896		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6896		10/9/25 16:23		3725'56.4514"N		796'31.5331"W		75.452		1405154.185		0		UNKNOWN		34		65536		CLASSIC		OMNI PEAK		140		100		100		-9		2		6.444		-1.394		-75.956		Yes		10/9/25 16:23		RTK		29		1.31		0.73		1.08		8974		-1339		Yes		RTK		3D		0.8		3003		0.948		0.433		0.433		2.084				WME		Water Meter

		UP6897		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6897		10/9/25 16:24		3725'56.3932"N		796'30.4959"W		83.764		1405237.949		0		UNKNOWN		29		65536		CLASSIC		OMNI PEAK		140		100		100		-4		4		7.065		-2.34		-76.525		Yes		10/9/25 16:24		RTK		29		1.31		0.73		1.08		9033		-1339		Yes		RTK		3D		0.6		3003		0.672		0.472		0.394		1.643				WME		Water Meter

		UP6898		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6898		10/9/25 16:24		3725'56.2791"N		796'28.8192"W		135.568		1405373.516		0		UNKNOWN		33		65536		CLASSIC		OMNI PEAK		140		20.813		100		0		12		7.862		-0.114		25.298		Yes		10/9/25 16:24		RTK		29		1.3		0.73		1.08		9108		-1339		Yes		RTK		3D		1.6		3003		1.913		1.27		0.709		4.593				WME		Water Meter

		UP6899		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6899		10/9/25 16:25		3725'56.1388"N		796'27.8957"W		75.746		1405449.262		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		10.035		100		0		11		13.36		2.963		-21.433		Yes		10/9/25 16:25		RTK		29		1.3		0.73		1.08		9154		-1339		Yes		RTK		3D		1.8		3003		1.05		0.512		0.472		2.336				WME		Water Meter

		UP6900		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6900		10/9/25 16:26		3725'55.9679"N		796'26.6176"W		104.41		1405553.672		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		3.973		100		-5		10		8.949		0.604		-69.238		Yes		10/9/25 16:26		RTK		29		1.3		0.73		1.08		9199		-1339		Yes		RTK		3D		1.2		3003		0.591		0.382		0.394		1.407				WME		Water Meter

		UP6901		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6901		10/9/25 16:26		3725'55.6745"N		796'24.8981"W		141.679		1405695.352		0		UNKNOWN		25		65536		CLASSIC		OMNI PEAK		140		100		100		2		2		11.073		-1.951		-59.404		Yes		10/9/25 16:26		RTK		28		1.3		0.73		1.08		9247		-1339		Yes		RTK		3D		1		3003		2.207		0.948		0.709		4.804				WME		Water Meter

		UP6902		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6902		10/9/25 16:27		3725'55.5367"N		796'23.8634"W		84.524		1405779.875		0		UNKNOWN		23		65536		CLASSIC		OMNI PEAK		140		100		100		-4		3		9.344		1.267		-69.538		Yes		10/9/25 16:27		RTK		28		1.3		0.73		1.07		9300		-1339		Yes		RTK		3D		1		3003		2.522		0.85		0.63		5.324				WME		Water Meter

		UP6903		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6903		10/9/25 16:28		3725'55.3370"N		796'22.8506"W		84.068		1405863.943		0		UNKNOWN		30		65536		CLASSIC		OMNI PEAK		140		83.64		100		-2		4		11.691		0.234		27.368		Yes		10/9/25 16:28		RTK		28		1.3		0.74		1.07		9370		-1339		Yes		RTK		3D		2.2		3003		1.05		0.759		0.591		2.59				WME		Water Meter

		UP6904		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6904		10/9/25 16:29		3725'54.9502"N		796'20.3777"W		203.037		1406066.98		0		UNKNOWN		28		65536		CLASSIC		OMNI PEAK		140		83.906		100		6		4		12.601		1.629		-82.84		Yes		10/9/25 16:29		RTK		28		1.3		0.74		1.07		9482		-1339		Yes		RTK		3D		1		3003		0.591		0.394		0.394		1.42				WME		Water Meter

		UP6905		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6905		10/9/25 16:30		3725'55.4364"N		796'20.0523"W		55.861		1406122.841		0		UNKNOWN		58		65536		CLASSIC		OMNI PEAK		140		47.148		100		0		8		12.229		0.317		-0.222		Yes		10/9/25 16:30		RTK		26		1.3		0.74		1.07		9501		-1339		Yes		RTK		3D		1.4		3003		1.05		0.591		0.551		2.409				WME		Water Meter

		UP6906		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6906		10/9/25 16:30		3725'55.6848"N		796'21.5415"W		122.583		1406245.424		0		UNKNOWN		30		65536		CLASSIC		OMNI PEAK		140		100		100		-4		3		7.728		-1.583		86.585		Yes		10/9/25 16:30		RTK		28		1.29		0.74		1.06		9448		-1339		Yes		RTK		3D		1.2		3003		2.688		1.512		0.906		6.167				WME		Water Meter

		UP6907		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6907		10/9/25 16:31		3725'55.8854"N		796'22.6100"W		88.455		1406333.879		0		UNKNOWN		26		65536		CLASSIC		OMNI PEAK		140		100		100		-2		4		9.014		-4.938		-36.329		Yes		10/9/25 16:31		RTK		28		1.29		0.74		1.06		9388		-1339		Yes		RTK		3D		1.8		3003		0.948		0.512		0.433		2.154				WME		Water Meter

		UP6908		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6908		10/9/25 16:32		3725'56.0764"N		796'23.8474"W		101.546		1406435.425		0		UNKNOWN		26		65536		CLASSIC		OMNI PEAK		140		22.839		100		-46		7		7.717		-4.314		3.55		Yes		10/9/25 16:32		RTK		29		1.29		0.74		1.06		9310		-1339		Yes		RTK		3D		1.4		3003		1.27		0.472		0.512		2.711				WME		Water Meter

		UP6909		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6909		10/9/25 16:32		3725'56.1982"N		796'24.8172"W		79.1		1406514.526		0		UNKNOWN		24		65536		CLASSIC		OMNI PEAK		140		100		100		-3		3		9.05		-0.7		8.643		Yes		10/9/25 16:33		RTK		28		1.36		0.75		1.13		9242		-1339		Yes		RTK		3D		2.4		3003		1.05		0.551		0.551		2.372				WME		Water Meter

		UP6910		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6910		10/9/25 16:33		3725'56.3902"N		796'25.8610"W		86.315		1406600.84		0		UNKNOWN		19		65536		CLASSIC		OMNI PEAK		140		29.523		100		-10		11		8.635		-0.54		61.599		Yes		10/9/25 16:33		RTK		29		1.36		0.75		1.13		9197		-1339		Yes		RTK		3D		1.6		3003		1.05		0.551		0.512		2.372				WME		Water Meter

		UP6911		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6911		10/9/25 16:34		3725'56.6258"N		796'27.4596"W		130.974		1406731.815		0		UNKNOWN		68		65536		CLASSIC		OMNI PEAK		140		28.468		100		-1		9		5.012		1.986		64.414		Yes		10/9/25 16:34		RTK		29		1.29		0.74		1.05		9137		-1339		Yes		RTK		3D		1		3003		1.27		0.433		0.433		2.684				WME		Water Meter

		UP6912		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6912		10/9/25 16:34		3725'56.7137"N		796'28.1589"W		57.038		1406788.853		0		UNKNOWN		28		65536		CLASSIC		OMNI PEAK		140		71.838		100		9		3		7.827		0.518		-53.176		Yes		10/9/25 16:34		RTK		29		1.28		0.74		1.05		9116		-1339		Yes		RTK		3D		1.2		3003		0.672		0.512		0.433		1.689				WME		Water Meter

		UP6913		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6913		10/21/25 12:29		3725'51.7465"N		796'6.7640"W		1795.714		1408584.567		0		UNKNOWN		62		65536		CLASSIC		OMNI PEAK		140		18.751		100		-4		10		18.546		-0.433		44.375		Yes		10/21/25 12:29		RTK		32		1.02		0.53		0.87		10058		-1339		Yes		RTK		3D		0.6		4012		0.591		0.551		0.433		1.616				WME		Water Meter

		UP6914		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6914		10/21/25 12:30		3725'51.8903"N		796'7.2628"W		42.747		1408627.313		0		UNKNOWN		163		65536		CLASSIC		OMNI PEAK		140		10.858		100		2		11		8.027		-2.38		19.073		Yes		10/21/25 12:30		RTK		32		1.03		0.54		0.88		10043		-1339		Yes		RTK		3D		0.6		4012		0.433		0.323		0.394		1.08				WME		Water Meter

		UP6915		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6915		10/21/25 12:30		3725'52.3704"N		796'8.4476"W		107.161		1408734.475		0		UNKNOWN		181		65536		CLASSIC		OMNI PEAK		140		5.392		100		-18		7		4.52		-1.597		39.889		Yes		10/21/25 12:30		RTK		30		1.03		0.54		0.88		10030		-1339		Yes		RTK		3D		0.6		4012		0.433		0.319		0.394		1.076				WME		Water Meter

		UP6916		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6916		10/21/25 12:31		3725'52.6191"N		796'10.9822"W		205.74		1408940.214		0		UNKNOWN		7		65536		CLASSIC		OMNI PEAK		140		53.749		100		3		4		6.579		2.998		27.3		Yes		10/21/25 12:31		RTK		30		1.03		0.54		0.88		9897		-1339		Yes		RTK		3D		3.4		4012		1.27		0.759		0.512		2.959				WME		Water Meter

		UP6917		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6917		10/21/25 12:32		3725'53.2372"N		796'11.0561"W		62.988		1409003.203		0		UNKNOWN		44		65536		CLASSIC		OMNI PEAK		140		25.543		100		2		10		10.55		-1.155		-22.812		Yes		10/21/25 12:32		RTK		31		1.03		0.53		0.88		9899		-1339		Yes		RTK		3D		1.8		4012		0.948		0.591		0.512		2.233				WME		Water Meter

		UP6918		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6918		10/21/25 12:34		3725'53.5759"N		796'12.1538"W		94.873		1409098.076		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.57		100		22		10		5.604		-2.641		24.48		Yes		10/21/25 12:34		RTK		31		1.02		0.53		0.87		9784		-1339		Yes		RTK		3D		1		4012		1.774		0.85		0.669		3.935				WME		Water Meter

		UP6919		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6919		10/21/25 12:34		3725'53.5832"N		796'12.1860"W		2.695		1409100.771		0		UNKNOWN		466		65536		CLASSIC		OMNI PEAK		140		5.737		100		32		3		12.292		-1.658		-34.271		Yes		10/21/25 12:34		RTK		31		1.02		0.53		0.87		9782		-1339		Yes		RTK		3D		2		4012		1.157		0.591		0.512		2.599				WME		Water Meter

		UP6920		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6920		10/21/25 12:34		3725'53.5928"N		796'12.2107"W		2.215		1409102.987		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.014		100		-50		12		9.423		-2.005		-53.724		Yes		10/21/25 12:34		RTK		31		1.02		0.53		0.87		9781		-1339		Yes		RTK		3D		1		4012		1.157		0.551		0.512		2.564				WME		Water Meter

		UP6921		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6921		10/21/25 12:35		3725'53.6887"N		796'12.6955"W		40.252		1409143.239		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		11.984		100		-13		9		13.907		-3.122		-42.163		Yes		10/21/25 12:35		RTK		31		1.02		0.53		0.87		9757		-1339		Yes		RTK		3D		3.6		4012		0.512		0.386		0.394		1.282				WME		Water Meter

		UP6922		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6922		10/21/25 12:35		3725'53.6922"N		796'12.7211"W		2.09		1409145.329		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		5.711		100		3		11		9.585		1.049		-63.046		Yes		10/21/25 12:35		RTK		31		1.02		0.53		0.87		9755		-1339		Yes		RTK		3D		1.4		4012		0.472		0.362		0.394		1.191				WME		Water Meter

		UP6923		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6923		10/21/25 12:35		3725'53.6910"N		796'12.7481"W		2.183		1409147.513		0		UNKNOWN		11		65536		CLASSIC		OMNI PEAK		140		37.382		100		-5		10		7.605		2.359		-52.4		Yes		10/21/25 12:35		RTK		31		1.02		0.53		0.87		9752		-1339		Yes		RTK		3D		3.4		4012		1.512		0.759		0.63		3.383				WME		Water Meter

		UP6924		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6924		10/21/25 12:35		3725'53.6908"N		796'12.7741"W		2.092		1409149.605		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		2.974		100		-19		8		11.534		0.149		76.022		Yes		10/21/25 12:35		RTK		31		1.02		0.53		0.87		9752		-1339		Yes		RTK		3D		1.8		4012		0.85		0.512		0.472		1.985				WME		Water Meter

		UP6925		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6925		10/21/25 12:37		3725'53.9030"N		796'13.6248"W		71.836		1409221.441		0		UNKNOWN		70		65536		CLASSIC		OMNI PEAK		140		10.064		100		7		9		8.293		0.718		-59.687		Yes		10/21/25 12:37		RTK		31		1.01		0.53		0.86		9688		-1339		Yes		RTK		3D		2.2		4012		1.157		0.672		0.551		2.677				WME		Water Meter

		UP6926		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6926		10/21/25 12:38		3725'54.4084"N		796'15.4185"W		153.326		1409374.767		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		6.109		100		18		7		9.356		0.817		-26.833		Yes		10/21/25 12:38		RTK		31		1.06		0.55		0.9		9609		-1339		Yes		RTK		3D		2		4012		1.27		0.672		0.551		2.874				WME		Water Meter

		UP6927		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6927		10/21/25 12:39		3725'54.8648"N		796'17.3226"W		160.228		1409534.996		0		UNKNOWN		20		65536		CLASSIC		OMNI PEAK		140		100		100		-4		3		12.981		-4.061		-28.578		Yes		10/21/25 12:39		RTK		32		1.11		0.58		0.94		9569		-1339		Yes		RTK		3D		1		4012		1.05		0.512		0.512		2.336				WME		Water Meter

		UP6928		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6928		10/21/25 12:40		3725'55.2097"N		796'18.7851"W		122.901		1409657.897		0		UNKNOWN		69		65536		CLASSIC		OMNI PEAK		140		51.711		100		4		7		2.827		1.568		-59.692		Yes		10/21/25 12:40		RTK		32		1.11		0.58		0.94		9539		-1339		Yes		RTK		3D		1.2		4012		0.759		0.472		0.433		1.787				WME		Water Meter

		UP6929		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6929		10/21/25 12:41		3725'54.7377"N		796'19.1580"W		56.527		1409714.425		0		UNKNOWN		55		65536		CLASSIC		OMNI PEAK		140		80.923		100		-4		6		8.711		0.242		-28.917		Yes		10/21/25 12:41		RTK		31		1.1		0.58		0.94		9514		-1339		Yes		RTK		3D		1.6		4012		0.759		0.472		0.433		1.787				WME		Water Meter

		UP6930		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6930		10/21/25 12:41		3725'54.4643"N		796'17.9907"W		98.04		1409812.465		0		UNKNOWN		27		65536		CLASSIC		OMNI PEAK		140		74.27		100		2		3		7.344		0.804		-25.448		Yes		10/21/25 12:41		RTK		31		1.1		0.58		0.94		9513		-1339		Yes		RTK		3D		5		4012		0.512		0.366		0.394		1.259				WME		Water Meter

		UP6931		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6931		10/21/25 12:42		3725'54.1563"N		796'16.8089"W		100.201		1409912.665		0		UNKNOWN		24		65536		CLASSIC		OMNI PEAK		140		39.825		100		-7		4		10.322		1.894		-41.022		Yes		10/21/25 12:42		RTK		32		1.1		0.58		0.93		9555		-1339		Yes		RTK		3D		0.8		4012		0.512		0.37		0.394		1.263				WME		Water Meter

		UP6932		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6932		10/21/25 12:43		3725'53.6882"N		796'15.0427"W		150.003		1410062.668		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		17.284		100		-2		12		8.132		-1.413		4.084		Yes		10/21/25 12:43		RTK		32		1.1		0.58		0.93		9596		-1339		Yes		RTK		3D		1.2		4012		0.672		0.472		0.433		1.643				WME		Water Meter

		UP6933		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6933		10/21/25 12:44		3725'53.3637"N		796'13.7523"W		109.045		1410171.713		0		UNKNOWN		30		65536		CLASSIC		OMNI PEAK		140		30.104		100		1		8		10.497		-4.425		-50.603		Yes		10/21/25 12:44		RTK		32		1.09		0.58		0.93		9678		-1339		Yes		RTK		3D		0.4		4012		0.759		0.472		0.472		1.787				WME		Water Meter

		UP6934		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6934		10/21/25 12:45		3725'53.0569"N		796'12.6307"W		95.565		1410267.279		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		10.669		100		-6		9		10.238		-0.013		-89.654		Yes		10/21/25 12:45		RTK		32		1.09		0.58		0.92		9764		-1339		Yes		RTK		3D		0.8		4012		0.672		0.433		0.433		1.599				WME		Water Meter

		UP6935		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6935		10/21/25 12:50		3725'50.0253"N		796'6.8651"W		557.071		1410824.349		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		1.07		100		3		13		9.386		-0.212		-82.973		Yes		10/21/25 12:50		RTK		32		1.07		0.58		0.9		10029		-1339		Yes		RTK		3D		1.4		4012		0.512		0.366		0.394		1.259				WME		Water Meter

		UP6936		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6936		10/21/25 12:54		3725'47.6411"N		796'15.2598"W		718.242		1411542.591		0		UNKNOWN		55		65536		CLASSIC		OMNI PEAK		140		100		100		7		6		6.746		-1.937		80.228		Yes		10/21/25 12:54		RTK		31		1.02		0.55		0.86		9766		-1339		Yes		RTK		3D		3.4		4012		1.05		0.759		0.669		2.59				WME		Water Meter

		UP6937		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6937		10/21/25 12:55		3725'47.4453"N		796'16.0945"W		70.117		1411612.708		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		19.332		100		7		7		15.219		-0.916		61.927		Yes		10/21/25 12:55		RTK		31		1.02		0.55		0.86		9809		-1339		Yes		RTK		3D		1.2		4012		0.394		0.327		0.394		1.023				WME		Water Meter

		UP6938		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6938		10/21/25 12:56		3725'47.2617"N		796'17.1797"W		89.387		1411702.095		0		UNKNOWN		68		65536		CLASSIC		OMNI PEAK		140		100		100		3		6		8.338		-1.673		8.049		Yes		10/21/25 12:56		RTK		31		0.99		0.53		0.84		9876		-1339		Yes		RTK		3D		1.8		4012		1.388		0.759		0.551		3.164				WME		Water Meter

		UP6939		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6939		10/21/25 12:56		3725'47.0298"N		796'17.9356"W		65.277		1411767.372		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		31.078		100		104		5		11.764		-2.01		42.169		Yes		10/21/25 12:56		RTK		31		0.99		0.53		0.84		9919		-1339		Yes		RTK		3D		1		4012		0.591		0.551		0.433		1.616				WME		Water Meter

		UP6940		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6940		10/21/25 13:00		3725'47.0063"N		796'16.1446"W		144.301		1411911.674		0		UNKNOWN		64		65536		CLASSIC		OMNI PEAK		140		100		100		-8		10		13.415		-1.952		-1.882		Yes		10/21/25 13:00		FLOAT RTK		30		1.07		0.56		0.91		9851		-1339		Yes		FLOAT RTK		3D		1.6		4012		2.025		1.638		0.394		5.209				WME		Water Meter

		UP6941		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6941		10/21/25 13:02		3725'47.4870"N		796'14.0662"W		174.401		1412086.075		0		UNKNOWN		563		65536		CLASSIC		OMNI PEAK		140		54.486		100		-7		8		13.511		0.628		43.967		Yes		10/21/25 13:02		RTK		30		1.05		0.54		0.9		9765		-1339		Yes		RTK		3D		0.6		4012		0.591		0.472		0.433		1.513				WME		Water Meter

		UP6942		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6942		10/21/25 13:05		3725'49.4180"N		796'7.1296"W		592.156		1412678.231		0		UNKNOWN		171		65536		CLASSIC		OMNI PEAK		140		10.822		100		28		8		12.31		1.96		39.56		Yes		10/21/25 13:05		RTK		30		1.04		0.54		0.89		10021		-1339		Yes		RTK		3D		0.8		4012		0.591		0.472		0.394		1.513				WME		Water Meter

		UP6943		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6943		10/21/25 13:17		3725'21.3392"N		795'53.4332"W		3054.854		1415733.084		0		UNKNOWN		71		65536		CLASSIC		OMNI PEAK		140		10.475		100		-42		10		14.214		-1.805		-31.197		Yes		10/21/25 13:17		RTK		29		1.12		0.56		0.97		9036		-1339		Yes		RTK		3D		0.4		4012		0.591		0.512		0.512		1.563				WME		Water Meter

		UP6944		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6944		10/21/25 13:18		3725'20.9786"N		795'54.2682"W		76.579		1415809.663		0		UNKNOWN		8		65536		CLASSIC		OMNI PEAK		140		51.606		100		0		7		8.109		-1.181		-0.071		Yes		10/21/25 13:18		RTK		29		1.12		0.56		0.96		9047		-1339		Yes		RTK		3D		0.8		4012		0.472		0.433		0.472		1.282				WME		Water Meter

		UP6945		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6945		10/21/25 13:19		3725'21.7882"N		795'56.1601"W		173.149		1415982.813		0		UNKNOWN		62		65536		CLASSIC		OMNI PEAK		140		25.108		100		0		8		12.17		-6.155		-11.377		Yes		10/21/25 13:19		RTK		30		1.06		0.54		0.92		9158		-1339		Yes		RTK		3D		0.8		4012		1.157		0.759		0.669		2.768				WME		Water Meter

		UP6946		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6946		10/21/25 13:21		3725'21.5476"N		795'58.7456"W		209.743		1416192.555		0		UNKNOWN		84		65536		CLASSIC		OMNI PEAK		140		30.139		100		298		7		5.991		0.178		-1.931		Yes		10/21/25 13:21		RTK		30		1.06		0.54		0.91		9139		-1339		Yes		RTK		3D		1.6		4012		0.759		0.512		0.63		1.83				WME		Water Meter

		UP6947		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6947		10/21/25 13:21		3725'21.9984"N		795'58.3211"W		57.11		1416249.665		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		3.819		100		-31		5		7.796		0.348		41.314		Yes		10/21/25 13:21		RTK		30		1.06		0.54		0.91		9137		-1339		Yes		RTK		3D		0.8		4012		0.85		0.759		0.669		2.279				WME		Water Meter

		UP6948		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6948		10/21/25 13:24		3725'13.6916"N		796'0.6413"W		863.21		1417112.874		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.3		100		110		6		8.617		-1.83		21.054		Yes		10/21/25 13:24		RTK		30		1.18		0.58		1.03		9197		-1339		Yes		RTK		3D		0.6		4012		0.85		0.472		0.512		1.946				WME		Water Meter

		UP6949		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6949		10/21/25 13:25		3725'13.2372"N		796'0.8605"W		49.37		1417162.245		0		UNKNOWN		5		65536		CLASSIC		OMNI PEAK		140		34.086		100		-10		8		1.702		-4.092		18.033		Yes		10/21/25 13:25		RTK		30		1.18		0.58		1.03		9220		-1339		Yes		RTK		3D		1.2		4012		0.394		0.331		0.394		1.028				WME		Water Meter

		UP6950		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6950		10/21/25 13:25		3725'12.9874"N		796'0.0695"W		68.588		1417230.833		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.031		100		-55		5		10.241		-3.194		64.618		Yes		10/21/25 13:25		RTK		30		1.18		0.58		1.03		9197		-1339		Yes		RTK		3D		3.2		4012		0.591		0.512		0.433		1.563				WME		Water Meter

		UP6951		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6951		10/21/25 13:26		3725'12.9729"N		796'0.0490"W		2.211		1417233.044		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0		100		-120		5		9.529		0.757		83.906		Yes		10/21/25 13:26		RTK		30		1.18		0.58		1.03		9199		-1339		Yes		RTK		3D		1		4012		1.27		1.05		0.748		3.296				WME		Water Meter

		UP6952		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6952		10/21/25 13:26		3725'12.9534"N		796'0.0553"W		2.038		1417235.082		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.018		100		-45		10		6.229		1.777		83.079		Yes		10/21/25 13:26		RTK		30		1.2		0.58		1.05		9198		-1339		Yes		RTK		3D		1.6		4012		1.157		1.05		0.709		3.125				WME		Water Meter

		UP6953		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6953		10/21/25 13:26		3725'12.2278"N		796'0.2929"W		76.065		1417311.147		0		UNKNOWN		3		65536		CLASSIC		OMNI PEAK		140		50.039		100		20		10		11.454		-0.7		-80.307		Yes		10/21/25 13:26		RTK		31		1.17		0.58		1.02		9203		-1339		Yes		RTK		3D		2		4012		0.591		0.512		0.472		1.563				WME		Water Meter

		UP6954		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6954		10/21/25 13:27		3725'12.2134"N		796'0.2783"W		1.872		1417313.019		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		4.18		100		-9		5		8.717		2.394		-11.057		Yes		10/21/25 13:27		RTK		31		1.17		0.58		1.02		9201		-1339		Yes		RTK		3D		0.8		4012		0.512		0.433		0.394		1.341				WME		Water Meter

		UP6955		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6955		10/21/25 13:29		3725'7.7560"N		795'56.9357"W		526.332		1417839.352		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		32.554		100		12		9		13.06		-0.055		-41.019		Yes		10/21/25 13:29		RTK		32		1.19		0.58		1.03		9097		-1339		Yes		RTK		3D		1.2		4012		0.591		0.512		0.472		1.563				WME		Water Meter

		UP6956		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6956		10/21/25 13:30		3725'6.8208"N		795'57.5076"W		105.473		1417944.825		0		UNKNOWN		6		65536		CLASSIC		OMNI PEAK		140		31.686		100		-11		10		10.198		-1.828		0.501		Yes		10/21/25 13:30		RTK		31		1.18		0.58		1.02		9102		-1339		Yes		RTK		3D		1.2		4012		0.512		0.472		0.472		1.393				WME		Water Meter

		UP6957		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6957		10/21/25 13:31		3725'6.7786"N		795'57.5414"W		5.07		1417949.895		0		UNKNOWN		2		65536		CLASSIC		OMNI PEAK		140		37.457		100		8		9		7.279		-2.405		-41.109		Yes		10/21/25 13:31		RTK		32		1.15		0.57		1		9101		-1339		Yes		RTK		3D		1.4		4012		0.672		0.672		0.551		1.9				WME		Water Meter

		UP6958		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6958		10/21/25 13:31		3725'6.7390"N		795'57.5676"W		4.54		1417954.435		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		0.527		100		-27		10		7.047		0.743		-26.541		Yes		10/21/25 13:31		RTK		31		1.22		0.61		1.06		9099		-1339		Yes		RTK		3D		1		4012		0.394		0.382		0.394		1.097				WME		Water Meter

		UP6959		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6959		10/21/25 13:31		3725'6.7058"N		795'57.5861"W		3.685		1417958.12		0		UNKNOWN		445		65536		CLASSIC		OMNI PEAK		140		5.905		100		15		9		6.627		-6.023		22.97		Yes		10/21/25 13:31		RTK		32		1.22		0.61		1.06		9099		-1339		Yes		RTK		3D		1.4		4012		0.472		0.394		0.394		1.23				WME		Water Meter

		UP6960		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6960		10/21/25 13:32		3725'6.6751"N		795'57.6100"W		3.666		1417961.786		0		UNKNOWN		24		65536		CLASSIC		OMNI PEAK		140		11.709		100		15		12		12.405		-0.088		64.184		Yes		10/21/25 13:32		RTK		32		1.17		0.58		1.01		9099		-1339		Yes		RTK		3D		1.4		4012		0.551		0.472		0.472		1.452				WME		Water Meter

		UP6961		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6961		10/21/25 13:36		3725'3.7229"N		795'58.9301"W		317.827		1418279.613		0		UNKNOWN		25		65536		CLASSIC		OMNI PEAK		140		15.527		100		1		7		14.154		-0.555		-70.448		Yes		10/21/25 13:36		RTK		31		1.12		0.57		0.97		9233		-1339		Yes		RTK		3D		1		4012		0.394		0.378		0.394		1.092				WME		Water Meter

		UP6962		T2025-07-01-1751370719992		2211303		22601210384		Potable Water		Merged with tilt		6962		10/21/25 13:40		3725'2.7938"N		795'59.5138"W		105.335		1418384.948		0		UNKNOWN		0		65536		CLASSIC		OMNI PEAK		140		2.68		100		5		10		4.709		-0.571		-80.759		Yes		10/21/25 13:40		RTK		30		1.08		0.55		0.93		9160		-1339		Yes		RTK		3D		0.6		4012		0.551		0.512		0.433		1.504				WME		Water Meter






_1846308443.pdf
2/11/2026 12:41 PM METER REPORT PAGE : 1
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 01 - BOOK 01
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 71032081 01-000100 416 MAIN ST 1.000 S-P 1/01/2010 3/11/2010  ON
Serial: 71032081 MANUAL 1/01/2010
WATER 100933505 01-000200 424 MAIN ST 1.000 S-IPRL  5/8" 11/20/2025  ON
Serial: 100933505 MANUAL

WATER 90301583 01-000300 117 SIXTH ST 1.000 S 5/8" 4/21/2022  ON
Serial: 90301583 MANUAL

WATER 82386274 01-000400 111 SIXTH ST 1.000 s 5/8" 4/20/2017  ON
Serial: 82376274 MANUAL

WATER 71458618 01-000500 109 SIXTH ST 1.000 S 5/8" 3/22/2011  ON
Serial: 71458618 MANUAL

WATER 82386271 01-000600 98 CHURCH ST 1.000 S 5/8" 4/20/2017 ON
Serial: 82386271 MANUAL

WATER 82386275 01-000700 100 CHURCH ST 1.000 S 5/8" 4/20/2017  ON
Serial: 82386275 MANUAL

WATER 82386270 01-000800 102 CHURCH ST 1.000 S 5/8" 4/20/2017  ON
Serial: 82386270 MANUAL

WATER 80002862 01-001100 129 FIFTH ST 1.000 S 5/8" 4/14/2016  ON
Serial: 80002862 MANUAL

WATER 71032132 01-001200 133 FIFTH ST 1.000 S-P 5/8 1/01/2010 3/11/2010 ON
Serial: 71032132 MANUAL 1/01/2010

WATER 72853838 01-001300 137 FIFTH ST 1.000 s 5/8" 10/18/2011  ON
Serial: 72853838 MANUAL

WATER 90301631 01-001400 136 FIFTH ST 1.000 S 5/8" 3/22/2022 3/22/2022  ON
Serial: 90301631 MANUAL

WATER 68691789 01-001500 132 FIFTH ST 1.000 S-P 5/8 1/01/2008 2/28/2008  ON
Serial: 68691789 MANUAL 1/01/2008

WATER 73987790 01-001600 116 FIFTH ST 1.000 S 5/8" 1/27/2012 1/27/2012  ON
Serial: 73987790 MANUAL

WATER 73987794 01-001800 105 FIFTH ST 1.000 S 5/8" 1/27/2012 1/27/2012  OFF
Serial: 73987794 1.000 MANUAL

WATER 90301584 01-002000 100 FIFTH ST 1.000 s 5/8" 4/21/2022  ON
Serial: 90301584 MANUAL

WATER 70171175 01-002100 128 FIFTH ST 1.000 S-P 5/8 1/01/2010 3/22/2010  ON
Serial: 70171175 MANUAL 1/01/2010

WATER 68692057 01-002300 132 CHURCH ST 1.000 R-P 5/8 1/01/2009 1/22/2009 ON
Serial: 68692057 MANUAL 1/01/2009

WATER 82386273 01-002400 108 FIFTH ST 1.000 S 5/8" 4/20/2017  ON
Serial: 82386273 MANUAL

WATER 68691788 01-002700 105 THIRD ST 1.000 S-P 5/8 1/01/2008 2/28/2008  OFF
Serial: 68691788 MANUAL 1/01/2008

WATER 68692053 01-002800 164 CHURCH ST 1.000 R-P 5/8 1/01/2009 1/22/2009  ON
Serial: 68692053 MANUAL 1/01/2009

WATER 80002878 01-002900 109 THIRD ST 1.000 s 5/8" 4/14/2016  ON
Serial: 80002878 MANUAL

WATER 90301648 01-003000 110 THIRD ST 1.000 s 5/8" 2/22/2023  ON
Serial: 90301648 MANUAL

WATER 73987855 01-003100 114 THIRD ST 1.000 S 5/8" 3/21/2013 ON
Serial: 73987855 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 2

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 01 - BOOK 01

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 73987851 01-003200 120 THIRD ST 1.000 S 5/8" 3/21/2013  OFF
Serial: 73987851 1.000 MANUAL

WATER 52407212 01-003300 174 CHURCH ST 1.000 R-P 5/8 1/01/1997 2/25/1998  ON
Serial: 52407212 MANUAL 1/01/1997

WATER 82386272 01-003400 102 THIRD ST 1.000 S 5/8" 4/20/2017  ON
Serial: 82386272 MANUAL

WATER 71032096 01-003500 181 CHURCH ST 1.000 S-P 1/01/2010 2/19/2010 ON
Serial: 71032096 MANUAL 1/01/2010

WATER 73987852 01-003600 180 CHURCH ST 1.000 S 5/8" 3/21/2013 ON
Serial: 73987852 MANUAL

WATER 68691791 01-003700 188 CHURCH ST 1.000 S-P 5/8 1/01/2008 2/28/2008 ON
Serial: 68691791 MANUAL 1/01/2008

WATER 71031965 01-003800 102 SECOND ST 1.000 S-P 5/8 1/01/2010 3/18/2010  ON
Serial: 71031965 MANUAL 1/01/2010

WATER 82386322 01-003900 100 SECOND ST 1.000 S 5/8" 4/20/2017  ON
Serial: 82386322 MANUAL

WATER 84008034 01-004000 196 CHURCH ST 1.000 S 5/8" 9/20/2018  OFF
Serial: 84008034 1.000 MANUAL

WATER 86011858 01-004100 225 ROCKY HILL RD 1.000 S 5/8" 9/26/2019  ON
Serial: 86011858 MANUAL

WATER 68691793 01-004200 233 ROCKY HILL RD 1.000 S-P 5/8 1/01/2008 2/28/2008  ON
Serial: 68691793 MANUAL 1/01/2008

WATER 75618647 01-004300 104 SECOND ST 1.000 s 5/8" 5/11/2016  ON
Serial: 75618647 MANUAL

WATER 70171176 01-004400 189 CHURCH ST & SECOND S 1.000 S 5/8" 9/28/2010  ON
Serial: 70171176 MANUAL

WATER 82386323 01-004402 114 SECOND ST 1.000 S 5/8" 4/20/2017  ON
Serial: 82386323 MANUAL

WATER 82386319 01-004500 237 ROCKY HILL RD 1.000 S 5/8" 4/20/2017  OFF
Serial: 82386319 1.000 MANUAL

WATER 82386652 01-004600 115 SECOND ST 1.000 S 5/8" 5/09/2017  OFF
Serial: 82386652 1.000 MANUAL

WATER 68691790 01-004700 514 MAIN ST 1.000 S-P 5/8 1/01/2008 2/28/2008  ON
Serial: 68691790 MANUAL 1/01/2008

WATER 75618749 01-005000 522 MAIN ST 1.000 s 5/8" 4/25/2014  ON
Serial: 75618749 MANUAL

WATER 73987781 01-005010 111 STUMPS HILL RD 1.000 S 5/8" 1/14/2015 1/14/2015  ON
Serial: 73987781 MANUAL

WATER 89570856 01-005100 240 ROCKY HILL RD 1.000 S-IPRL  5/8" 1/23/2025  ON
Serial: 89570856 MANUAL

WATER 82386294 01-005200 236 ROCKY HILL RD 1.000 S 5/8" 5/16/2017  OFF
Serial: 82386294 1.000 MANUAL

WATER 89570853 01-005300 224 ROCKY HILL RD 1.000 S 5/8" 6/05/2023  ON
Serial: 89570853 MANUAL

WATER 75618680 01-005305 115 STUMPS HILL RD 1.000 s 5/8" 10/02/2014  ON
Serial: 75618680 MANUAL

WATER 64642906 01-005400 113 STUMPS HILL RD 1.000 R-P 1/01/2005 3/03/2005 ON

Serial: 64642906 MANUAL 1/01/2005





2/11/2026 12:41 PM METER REPORT PAGE : 3
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT

DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes

DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999

BOOK: 01 - BOOK 01
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
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2/11/2026 12:41 PM METER REPORT PAGE : 4

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 01 - BOOK 01

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 88239883 01-008000 497 MAIN ST 1.000 s 5/8" 2/02/2021  ON
Serial: 88239883 MANUAL

WATER 82386653 01-008100 498 MAIN ST 1.000 S 5/8" 5/18/2017  ON
Serial: 82386653 MANUAL

WATER 80002935 01-008200 117 THIRD ST 1.000 S 5/8" 4/13/2016  ON
Serial: 80002935 MANUAL

WATER 90301619 01-008300 491 MAIN ST 1.000 s 5/8" 12/05/2023  ON
Serial: 90301619 MANUAL

WATER 70171196 01-008400 485 MAIN ST 1.000 S-P 5/8 1/01/2009 12/03/2009  ON
Serial: 70171196 MANUAL 1/01/2009

WATER 75618790 01-008500 148 THIRD ST 1.000 s 5/8" 12/03/2013  ON
Serial: 75618790 MANUAL

WATER 59660671 01-008601 198 CLARK ST 1.000 S-P 5/8 1/01/2006 0/00/2000  ON
Serial: 59660671 MANUAL 1/01/2006

WATER 73987903 01-008700 209 CLARK ST 1.000 S 5/8" 12/09/2013  ON
Serial: 73987903 MANUAL

WATER 73681702 01-008900 211 CLARK ST 1.000 S 5/8" 3/21/2013  OFF
Serial: 73681702 1.000 MANUAL

WATER 75618751 01-009000 214 CLARK ST 1.000 s 5/8" 4/25/2014  ON
Serial: 75618751 MANUAL

WATER 67641579 01-009200 220 CLARK ST 1.000 S-P 5/8 1/01/2008 2/28/2008  ON
Serial: 67641579 MANUAL 1/01/2008

WATER 80002880 01-009300 225 CLARK ST 1.000 S 5/8" 4/14/2016 ON
Serial: 80002880 MANUAL

WATER 82386302 01-009400 233 CLARK ST 1.000 S 5/8" 5/18/2017  ON
Serial: 82386302 MANUAL

WATER 82386301 01-009401 234 CLARK ST 1.000 S 5/8" 5/18/2017  ON
Serial: 82386301 MANUAL

WATER 73987976 01-009420 253 CLARK ST 1.000 S 5/8" 1/01/2015 3/17/2015  ON
Serial: 73987976 MANUAL

WATER 82386303 01-009500 259 CLARK ST 1.000 S 5/8" 5/18/2017 ON
Serial: 82386303 MANUAL

WATER 73681690 01-009600 265 CLARK ST 1.000 S 5/8" 3/21/2013 ON
Serial: 73681690 MANUAL

WATER 80002877 01-009800 267 CLARK ST 1.000 s 5/8" 4/14/2016  ON
Serial: 80002877 MANUAL

WATER 82386827 01-009805 273 CLARK ST 1.000 S 5/8" 5/19/2017  ON
Serial: 82386827 MANUAL

WATER 71031967 01-010100 170 TURNER ST 1.000 S-P 5/8 1/01/2010 3/18/2010  ON
Serial: 71031967 MANUAL 1/01/2010

WATER 90301579 01-010200 199 CLARK ST 1.000 S 5/8" 4/21/2022  ON
Serial: 90301579 MANUAL

WATER 82386893 01-010300 188 CLARK ST 1.000 S 5/8" 5/19/2017 OFF
Serial: 82386893 1.000 MANUAL

WATER 90301580 01-010400 193 CLARK ST 1.000 s 5/8" 4/21/2022  ON
Serial: 90301580 MANUAL

WATER 72853804 01-010500 125 TURNER ST 1.000 S 5/8" 6/05/2013 6/05/2013  ON

Serial: 72853804 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 5

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 01 - BOOK 01

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 72853812 01-010520 145 TURNER ST 1.000 S 5/8" 5/15/2013 5/15/2013  ON
Serial: 72853812 MANUAL

WATER 96689041 01-010600 155 TURNER ST 1.000 S 5/8" 12/04/2024  ON
Serial: 96689041 MANUAL

WATER 59010994 01-010700 183 CLARK ST 1.000 R-P 5/8" 1/01/2002 12/30/2000  ON
Serial: 59010994 MANUAL 1/01/2002

WATER 67641577 01-010800 155 FOURTH ST 1.000 s-P 5/8 1/01/2008 2/28/2008  ON
Serial: 67641577 MANUAL 1/01/2008

WATER 90301643 01-010820 173 CLARK ST 1.000 s 5/8" 12/02/2022  ON
Serial: 90301643 MANUAL

WATER 73681692 01-010900 171 CLARK ST 1.000 S 5/8" 3/21/2013 ON
Serial: 73681692 MANUAL

WATER 71032027 01-011000 172 CLARK ST 1.000 S-P 5/8 1/01/2010 3/18/2010  ON
Serial: 71032027 MANUAL 1/01/2010

WATER 90301644 01-011100 161 CLARK ST 1.000 S 5/8" 12/02/2022  OFF
Serial: 90301644 1.000 MANUAL

WATER 82386892 01-011200 152 FOURTH ST 1.000 S 5/8" 5/19/2017  ON
Serial: 82386892 MANUAL

WATER 82386888 01-011300 151 FOURTH ST 1.000 S 5/8" 5/19/2017 ON
Serial: 82386888 MANUAL

WATER 82386889 01-011400 147 FOURTH ST 1.000 S 5/8" 5/19/2017 ON
Serial: 82386889 MANUAL

WATER 67641659 01-011500 144 FOURTH ST 1.000 S-P 5/8 1/01/2008 2/29/2008  ON
Serial: 67641659 MANUAL 1/01/2008

WATER 88240037 01-011600 471 MAIN ST 1.000 S 5/8" 6/22/2020  ON
Serial: 88240037 MANUAL

WATER 80002879 01-011700 465 MAIN ST (MTR ON FOUR 1.000 s 5/8" 4/01/2016  ON
Serial: 80002879 MANUAL

WATER 67641656 01-011800 127 FOURTH ST & MAIN ST 1.000 S-P 5/8 1/01/2008 2/29/2008  ON
Serial: 67641656 MANUAL 1/01/2008

WATER 67641658 01-012000 119 FOURTH ST 1.000 R-P 5/8 1/01/2008 2/29/2008  ON
Serial: 67641658 MANUAL 1/01/2008

WATER 82386890 01-012100 117 FOURTH ST 1.000 S 5/8" 5/19/2017 ON
Serial: 82386890 MANUAL

WATER 64642934 01-012150 118 FOURTH ST 1.000 S-P 5/8 1/01/2003 6/11/2003  OFF
Serial: 64642934 MANUAL 1/01/2003

WATER 90301647 01-012200 110 FOURTH ST 1.000 S 5/8" 12/02/2022  ON
Serial: 90301647 MANUAL

WATER 67641660 01-012300 115 FOURTH ST 1.000 S-P 5/8 1/01/2008 2/29/2008  ON
Serial: 67641660 MANUAL 1/01/2008

WATER 82386891 01-012400 102 FOURTH ST 1.000 S 5/8" 5/19/2017  OFF
Serial: 82386891 1.000 MANUAL

WATER 86011692 01-012500 464 MAIN ST 1.000 S 5/8" 3/25/2020  ON
Serial: 86011692 MANUAL

WATER 73987774 01-012600 459 MAIN ST 1.000 S 5/8" 9/05/2012  ON
Serial: 73987774 MANUAL

WATER 82386730 01-012700 458 MAIN ST 1.000 S 5/8" 5/19/2017 ON

Serial: 82386730 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 6

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 01 - BOOK 01

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 90301582 01-012800 457 MAIN ST 1.000 s 5/8" 4/21/2022  ON
Serial: 90301582 MANUAL

WATER 82383731 01-012900 454 MAIN ST 1.000 S 5/8" 5/19/2017  ON
Serial: 82383731 MANUAL

WATER 82386729 01-013000 450 MAIN ST 1.000 S 5/8" 5/31/2017  ON
Serial: 82386729 MANUAL

WATER 84008035 01-013100 448 MAIN ST 2DW 1.000 S 5/8" 9/27/2018  OFF
Serial: 84008035 1.000 MANUAL

WATER 88240041 01-013200 448 MAIN ST APT 1 1.000 S 5/8" 6/22/2020  OFF
Serial: 88240041 1.000 MANUAL

WATER 88240076 01-013400 439 MAIN ST 1.000 S 5/8" 6/22/2020  ON
Serial: 88240076 MANUAL

WATER 86011791 01-013500 433 MAIN ST 1.000 S 5/8" 12/10/2024  ON
Serial: 86011791 MANUAL

WATER 73987844 01-013600 432 MAIN ST 1.000 S 5/8" 4/27/2012  ON
Serial: 73987844 MANUAL

WATER 72853788 01-013800 430 MAIN ST 1.000 S 5/8" 1/07/2014  ON
Serial: 72853788 MANUAL

WATER 73987792 01-014000 419 MAIN ST 1.000 s 5/8" 4/27/2012  ON
Serial: 73987792 MANUAL

WATER 80002876 01-014100 417 MAIN ST 1.000 S 5/8" 3/30/2016  ON
Serial: 80002876 MANUAL

WATER 82386728 01-014300 412 MAIN ST 1.000 S 5/8" 5/31/2017 ON
Serial: 82386728 MANUAL

WATER 82386727 01-014400 404 MAIN ST 1.000 S 5/8" 6/01/2017  OFF
Serial: 82386727 1.000 MANUAL

WATER 82386287 01-014500 406 MAIN ST 1.000 S 5/8" 6/01/2017 ON
Serial: 82386287 MANUAL

WATER 82386284 01-014600 407 MAIN ST 1.000 S 5/8" 6/01/2017 ON
Serial: 82386284 MANUAL

WATER 84007971 01-014700 403 MAIN ST 1.000 s 5/8" 10/23/2018  ON
Serial: 84007971 MANUAL

WATER 67412761 01-014800 398 MAIN ST 1.000 S-P 5/8 1/01/2007 3/01/2007  ON
Serial: 67412761 MANUAL 1/01/2007

WATER 82386619 01-014900 395 MAIN ST 1.000 s 5/8" 6/25/2018  ON

MANUAL
WATER 73987978 01-015100 396 MAIN ST 1.000 S 5/8" 3/17/2015  ON
MANUAL

WATER 80003275 01-015200 391 MAIN ST 1.000 S 5/8" 2/13/2017  ON
Serial: 80003275 MANUAL

WATER 82386285 01-015300 388 MAIN ST 1.000 S 5/8" 6/01/2017 ON
Serial: 82386285 MANUAL

WATER 82386282 01-015500 383 MAIN ST 1.000 S 5/8" 6/01/2017  ON
Serial: 82386282 MANUAL

WATER 90301705 01-015600 378 MAIN ST 1.000 s 5/8" 1/27/2023  ON
Serial: 90301705 MANUAL

WATER 86011856 01-015700 381 MAIN ST 1.000 s 5/8" 3/09/2020  ON

Serial: 86011856 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 7
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT

DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes

DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999

BOOK: 01 - BOOK 01
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 82386821 01-015800 370 MAIN ST 1.000 S 5/8" 6/01/2017  ON
Serial: 82386821 MANUAL

WATER 84007967 01-015900 373 MAIN ST 1.000 S 5/8" 10/23/2018  ON
Serial: 84007967 MANUAL

WATER 73987846 01-016000 369 MAIN ST 1.000 S 5/8" 4/27/2012  ON
Serial: 73987846 MANUAL

WATER 80002964 01-016100 368 MAIN ST 1.000 s 5/8" 4/14/2016  ON
Serial: 80002964 MANUAL

WATER 73681691 01-016200 360 MAIN ST 1.000 s 5/8" 3/28/2013  ON
Serial: 73681691 MANUAL

WATER 100933450 01-016300 359 MAIN ST 1.000 S-IPRL 5/8" 10/07/2025 ON
Serial: 100933450 MANUAL

WATER 80002963 01-016400 358 MAIN ST 1.000 S 5/8" 4/14/2016  ON
Serial: 80002963 MANUAL

WATER 80002995 01-016500 153 EIGHTH ST 1.000 S 5/8" 4/14/2016  ON
Serial: 80002995 MANUAL

WATER 82386820 01-016600 351 MAIN ST 1.000 S 5/8" 6/01/2017 ON
Serial: 82386820 MANUAL

WATER 80002933 01-016601 357 MAIN ST 1.000 s 5/8" 4/13/2016  ON
Serial: 80002933 MANUAL

WATER 82386817 01-016700 349 MAIN ST 1.000 S 5/8" 6/01/2017  ON
Serial: 82386817 MANUAL

WATER 80002934 01-016800 341 MAIN ST 1.000 S 5/8" 3/30/2016  ON
Serial: 80002934 MANUAL

WATER 73987845 01-016900 130 EIGHTH ST & MAIN ST 1.000 S 5/8" 4/27/2012  ON
Serial: 73987845 MANUAL

WATER 68691855 01-017000 129 EIGHTH ST 1.000 S-P 5/8 1/01/2008 4/24/2008  ON
Serial: 68691855 MANUAL

WATER 68692011 01-017001 135 EIGHTH ST 1.000 S-P 5/8 1/01/2008 4/24/2008  ON
Serial: 68692011 MANUAL

WATER 68691747 01-017005 378 LYNCHS FERRY RD 1.000 S-P 5/8 1/01/2008 2/29/2008  ON
Serial: 68691747 MANUAL 1/01/2008

WATER 67641657 01-017100 372 LYNCHS FERRY RD 1.000 S-P 5/8 1/01/2008 2/29/2008  ON
Serial: 67641657 MANUAL 1/01/2008

WATER 90301554 01-017200 354 LYNCHS FERRY RD 1.000 s 5/8" 4/26/2022  ON
Serial: 90301554 MANUAL

WATER 67412764 01-017400 115 EIGHTH ST 1.000 S-P 5/8 1/01/2007 3/02/2007  ON
Serial: 67412764 MANUAL 1/01/2007

WATER 82386315 01-017500 330 MAIN ST 1.000 S 5/8" 6/29/2017  ON
Serial: 82386315 MANUAL

WATER 90301581 01-017600 328 MAIN ST 1.000 S 5/8" 4/21/2022  ON
Serial: 90301581 MANUAL

WATER 71063272 01-017700 329 MAIN ST 1.000 S 5/8" 8/18/2015  ON
Serial: 71063272 MANUAL

WATER 71031968 01-018100 320 MAIN ST 1.000 s-P 5/8 1/01/2010 3/18/2010  ON
Serial: 71031968 MANUAL 1/01/2010

WATER 82386588 01-019000 290 MAIN ST 1.000 S 5/8" 6/29/2017 ON
Serial: 82386588 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 8
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT

DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes

DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999

BOOK: 01 - BOOK 01
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

71032029
71032029
71031966
71031966
73987795
73987795
82386277
82386277
84007925
84007925
82386394
82386394
75618752
75618752
75618712
75618712
82386763
82386763
82386767
82386767
80002860
80002860
66510687
66510687
90301565
90301565
68691864
68691864
80002858
80002858
73987850
73987850
73987997
73987997
82386766
82386766
75618646
75618646
73987791
73987791
73681855
73681855
80002959
80002959
90301480
90301480
82386502
82386502

01-019100

01-019200

01-019400

01-019500

01-019600

01-019700

01-030075

01-030080

01-030090

01-030095

01-030100

01-030200

01-030300

01-030610

01-030625

01-030635

01-030645

01-030660

01-031500

01-031700

01-031800

01-031900

01-032000

01-032100

289

120

275

MAIN ST

MAIN ST

MAIN ST

MAIN ST

IRVIN DR

MAIN ST

OLD TOWN CONNECTOR

LYNCHS FERRY RD

COLONY RD

LYNCHS FERRY RD

IRVIN DR

COLONY RD

OLD TOWN CONNECTOR

ROSE LN

ROSE LN

ROSE LN

FLOOD ST

FLOOD ST

OLD RAGLAND RD

SPINNER ST

SPINNER ST

SPINNER ST

SPINNER ST

SPINNER ST

=R R e

.000
.000
.000
.000
.000

.000
.000
.000

S-P
MANUAL
S-P
MANUAL
S
MANUAL

MANUAL

MANUAL
S
MANUAL
S
MANUAL
S
MANUAL

MANUAL

MANUAL
S
MANUAL
R-P
MANUAL
S
MANUAL
R-P
MANUAL
S
MANUAL

MANUAL

MANUAL
S
MANUAL
S
MANUAL
S
MANUAL

MANUAL

MANUAL

MANUAL

S
MANUAL

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

1/01/2010

1/01/2010

1/27/2012

1/01/2006

1/01/2009

1/27/2012

2/07/2012

3/18/2010

1/01/2010

3/18/2010

1/01/2010

1/27/2012

6/29/2017

1/10/2018

6/29/2017

4/25/2014

1/23/2014

6/29/2017

6/29/2017

4/14/2016

5/31/2006

1/01/2006

4/21/2022

1/23/2009

1/01/2009

4/14/2016

3/21/2013

3/22/2013

6/29/2017

3/30/2016

1/27/2012

2/07/2012

4/14/2016

6/05/2023

1/08/2018

ON

OFF

OFF

ON

ON

ON

ON

ON

OFF

ON

OFF

ON

OFF

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON





2/11/2026 12:41 PM METER REPORT PAGE : 9
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT

DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes

DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999

BOOK: 01 - BOOK 01
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

71458598
71458598
71458621
71458621
68692060
68692060
73681852
73681852
71031970
71031970
80002958
80002958
68692063
68692063
68692061
68692061
72853938
A72853938

01-032200

01-032300

01-032400

01-032500

01-032600

01-032700

01-032800

01-032900

01-052080

142 SPINNER

143 SPINNER

146 SPINNER

150 SPINNER

155 SPINNER

154 SPINNER

158 SPINNER

157 SPINNER

108 SEVENTH

ST

ST

ST

ST

ST

ST

ST

ST

MANUAL
S
MANUAL
S-P
MANUAL

MANUAL
S-P
MANUAL
S
MANUAL
S-P
MANUAL
S-P
MANUAL
S
MANUAL

5/8"

1/01/2008

2/07/2012

1/01/2010

1/01/2008

1/01/2008

12/27/2010

3/22/2011

2/28/2008
1/01/2008
2/07/2012

3/18/2010
1/01/2010
4/14/2016

3/28/2008
1/01/2008
3/28/2008
1/01/2008
4/21/2017

ON

ON

ON

ON

ON

ON

ON

ON





2/11/2026 12:41 PM METER REPORT PAGE : 10

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 02 - BOOK 02

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 82386761 02-033000 137 OLD RAGLAND RD 1.000 s 5/8" 6/28/2017  OFF
Serial: 82386761 1.000 MANUAL

WATER 88240040 02-033200 140 OLD RAGLAND RD 1.000 s 5/8" 6/22/2020  ON
Serial: 88240040 MANUAL

WATER 80002956 02-033300 175 OLD RAGLAND RD 1.000 S 5/8" 4/14/2016  ON
Serial: 80002956 MANUAL

WATER 82386756 02-033400 170 OLD RAGLAND RD 1.000 S 5/8" 6/28/2017  ON
Serial: 82386756 MANUAL

WATER 82386758 02-033415 188 RAGLAND RD 1.000 S 5/8" 6/28/2017  ON
Serial: 82386758 MANUAL

WATER 71458597 02-033500 196 RAGLAND RD 1.000 s 5/8" 1/13/2011  ON
Serial: 71458597 MANUAL

WATER 82386757 02-033510 197 RAGLAND RD 1.000 s 5/8" 6/28/2017  ON
Serial: 82386757 MANUAL

WATER 71458594 02-033600 204 RAGLAND RD 1.000 s 5/8" 2/04/2011  ON
Serial: 71458594 MANUAL

WATER 68691984 02-033603 203 RAGLAND RD 1.000 S-P 5/8 1/01/2008 3/28/2008  ON
Serial: 68691984 MANUAL 1/01/2008

WATER 80002954 02-033605 210 RAGLAND RD 1.000 s 5/8" 4/14/2016  ON
Serial: 80002954 MANUAL

WATER 80002925 02-033700 213 RAGLAND RD 101 1.000 s 5/8" 4/14/2016  ON
Serial: 80002925 MANUAL

WATER 68691939 02-033701 213 RAGLAND RD 102 1.000 R-P 5/8 1/01/2009 1/23/2009  ON
Serial: 68691939 MANUAL 1/01/2009

WATER 80002924 02-033800 223 RAGLAND RD 1.000 S 5/8" 4/14/2016  ON
Serial: 80002924 MANUAL

WATER 80002928 02-033820 226 RAGLAND RD 1.000 s 5/8" 4/14/2016  ON
Serial: 80002928 MANUAL

WATER 82386760 02-033900 237 RAGLAND RD 1.000 S 5/8" 6/28/2017  ON
Serial: 82386760 MANUAL

WATER 67641405 02-034005 244 RAGLAND RD 1.000 S-P 5/8 1/01/2007 4/30/2007  ON
Serial: 67641405 MANUAL 1/01/2007

WATER 90301670 02-034010 248 RAGLAND RD 1.000 s 5/8" 1/10/2023  ON
Serial: 90301670 MANUAL

WATER 80002927 02-034100 262 RAGLAND RD 1.000 S 5/8" 5/11/2016  ON
Serial: 80002927 MANUAL

WATER 68691981 02-034105 275 RAGLAND RD 1.000 S-P 5/8 1/01/2008 3/28/2008  ON
Serial: 68691981 MANUAL 1/01/2008

WATER 86011922 02-034115 278 RAGLAND RD 1.000 s 5/8" 2/27/2019  ON
Serial: 86011922 MANUAL

WATER 68691982 02-034116 281 RAGLAND RD 1.000 S-P 5/8 1/01/2008 2/28/2008  ON
Serial: 68691982 MANUAL 1/01/2008

WATER 84007970 02-034120 284 RAGLAND RD 1.000 s 5/8" 1/16/2019  ON
Serial: 84007970 MANUAL

WATER 84007983 02-034125 124 EUBANK CR 1.000 S 5/8" 3/22/2018  ON
Serial: 84007983 MANUAL

WATER 90301566 02-034130 128 EUBANK CIR 1.000 s 5/8" 4/21/2022  ON

Serial: 90301566 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 11
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT

DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes

DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999

BOOK: 02 - BOOK 02
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

80002929
80002929
75618741
75618741
71032028
71032028
80002916
80002916
71031987
71031987
82386759
82386759
73987798
73987798
82386659
82386659
80002912
80002912
80002913
80002913
86011932
86011932
86011930
86011930
75618736
75618736
80002957
80002957
67412742
67412742
82386657
82386657
71458483
71458483
80002961
80002961
90301764
90301764
84008056
84008056
75618738
75618738
84008055
84008055
68691942
68691942
73987979

02-034200

02-034210

02-034250

02-034260

02-034300

02-034305

02-034310

02-034400

02-034410

02-034500

02-034510

02-034520

02-034600

02-034800

02-034900

02-035000

02-035100

02-035300

02-035500

02-035600

02-035610

02-035700

02-035800

02-035900

289

111

RAGLAND RD

RAGLAND RD

RAGLAND RD

EUBANK CR

RAGLAND RD

RAGLAND RD

RAGLAND RD

RAGLAND RD

RAGLAND RD

RAGLAND RD

RAGLAND RD

RAGLAND RD

OLD RAGLAND RD

OLD RAGLAND RD

MORRIS ST

UNION ST

OLD COLONY RD

OLD COLONY RD

OLD COLONY RD

OLD COLONY RD

OLD COLONY RD

OLD COLONY RD

OLD COLONY RD

OLD COLONY RD

1.000
1.000
1.000

MANUAL
S
MANUAL
S-P
MANUAL

MANUAL
S-P
MANUAL
S
MANUAL
S
MANUAL
S
MANUAL

MANUAL

MANUAL

MANUAL
S
MANUAL
S
MANUAL
S
MANUAL
S-P
MANUAL

MANUAL

MANUAL
S
MANUAL
S
MANUAL
S
MANUAL

MANUAL

MANUAL
S-P
MANUAL
S
MANUAL

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

1/01/2010

1/01/2010

1/01/2007

4/18/2011

1/01/2009

4/14/2016

11/26/2025

11/26/2025

1/01/2010

4/14/2016

3/18/2010

1/01/2010

6/28/2017

3/21/2013

6/28/2017

4/14/2016

4/14/2016

3/19/2019

3/19/2019

4/14/2016

5/11/2016

3/02/2007

1/01/2007

6/28/2017

4/18/2011

4/19/2016

4/22/2022

3/20/2019

5/11/2016

3/20/2019

1/23/2009

1/01/2009
3/17/2015

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

OFF

ON

ON

ON

ON

ON

OFF

ON

ON

ON





2/11/2026 12:41 PM METER REPORT PAGE : 12

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 02 - BOOK 02

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 84008024 02-036100 419 COLONY RD 1.000 S 5/8" 2/28/2018  ON
Serial: 84008024 MANUAL

WATER 100933473 02-036200 431 COLONY RD 1.000 S-IPRL  5/8" 10/06/2025  ON
Serial: 100933473 MANUAL

WATER 86011812 02-036300 435 COLONY RD 1.000 S 5/8" 3/20/2019  ON
Serial: 86011812 MANUAL

WATER 73987977 02-036400 434 COLONY RD 1.000 S 5/8" 3/17/2015  ON

MANUAL

WATER 86011813 02-036500 440 COLONY RD 1.000 s 5/8" 3/20/2019  ON
Serial: 86011813 MANUAL

WATER 86011755 02-036600 457 COLONY RD 1.000 s 5/8" 5/02/2019  ON
Serial: 86011755 MANUAL

WATER 90301561 02-036605 458 COLONY RD 1.000 S 5/8" 4/21/2022  ON
Serial: 90301561 MANUAL

WATER 82386655 02-036700 467 COLONY RD 1.000 S 5/8" 6/28/2017  ON
Serial: 82386655 MANUAL

WATER 86011809 02-036900 119 SUNSET DR 1.000 S 5/8" 3/20/2019  ON
Serial: 86011809 MANUAL

WATER 73987800 02-036911 115 SUNSET DR 1.000 S 5/8" 3/21/2013 ON
Serial: 73987800 MANUAL

WATER 73987823 02-036912 117 SUNSET DR 1.000 S 5/8" 3/21/2013 ON
Serial: 73987823 MANUAL

WATER 86011754 02-037100 499 COLONY RD 1.000 S 5/8" 5/02/2019 ON
Serial: 86011754 MANUAL

WATER 75618662 02-037400 112 SUNSET DR 1.000 S 5/8" 4/19/2016  ON
Serial: 75618662 MANUAL

WATER 86011877 02-037410 126 SUNSET DR 1.000 S 5/8" 6/25/2019  ON
Serial: 86011877 MANUAL

WATER 80002960 02-037413 123 SUNSET DR 1.000 S 5/8" 4/19/2016  ON
Serial: 80002960 MANUAL

WATER 73987799 02-037415 121 SUNSET DR 1.000 S 5/8" 3/21/2013 ON
Serial: 73987799 MANUAL

WATER 100933474 02-037450 160 A50 SUNSET DR 1.000 S-IPRL  5/8" 10/01/2025  ON
Serial: 100933474 MANUAL

WATER 88239961 02-037500 166 SUNSET DR 1.000 S 5/8" 6/22/2020 ON
Serial: 88239961 MANUAL

WATER 82386658 02-037600 167 SUNSET DR 1.000 s 5/8" 6/28/2017  ON
Serial: 82386658 MANUAL

WATER 86011884 02-037800 175 SUNSET DR 1.000 S 5/8" 6/18/2019  ON
Serial: 86011884 MANUAL

WATER 71458549 02-037810 181 SUNSET DR 1.000 S 5/8" 1/13/2011  ON
Serial: 71458549 MANUAL

WATER 88239808 02-037900 189 SUNSET DR 1.000 S 5/8" 5/18/2021 ON
Serial: 88239808 MANUAL

WATER 67412741 02-038000 195 SUNSET DR 1.000 S-P 5/8 1/01/2007 3/02/2007  ON
Serial: 67412741 MANUAL 1/01/2007

WATER 82386654 02-038100 199 SUNSET DR 1.000 S 5/8" 6/28/2017  ON

Serial: 82386654 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 13

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 02 - BOOK 02

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 68691967 02-038110 196 SUNSET DR 1.000 R-P 5/8 1/01/2008 5/30/2008  ON
Serial: 68691967 MANUAL 1/01/2008

WATER 86011878 02-038200 209 SUNSET DR 1.000 S 5/8" 6/25/2019  ON
Serial: 86011878 MANUAL

WATER 68691946 02-038300 215 SUNSET DR 1.000 R-P 5/8 1/01/2008 4/30/2008  ON
Serial: 68691946 MANUAL 1/01/2008

WATER 86011818 02-038405 216 SUNSET DR 1.000 S 5/8" 5/17/2019  ON
Serial: 86011818 MANUAL

WATER 86011885 02-038410 223 SUNSET DR 1.000 S 5/8" 6/18/2019  ON
Serial: 86011885 MANUAL

WATER 80002962 02-038500 226 SUNSET DR 1.000 S 5/8" 4/19/2016 ON
Serial: 80002962 MANUAL

WATER 86011882 02-038501 236 SUNSET DR 1.000 S 5/8" 6/18/2019  OFF
Serial: 86011882 1.000 MANUAL

WATER 86011883 02-038505 229 SUNSET DR 1.000 S 5/8" 7/01/2019  ON
Serial: 86011883 MANUAL

WATER 86011881 02-038508 242 SUNSET DR 1.000 S 5/8" 6/18/2019  OFF
Serial: 86011881 1.000 MANUAL

WATER 86011880 02-038509 244 SUNSET DR 1.000 S 5/8" 6/18/2019  ON
Serial: 86011880 MANUAL

WATER 86011876 02-038510 249 SUNSET DR 1.000 S 5/8" 6/25/2019  ON
Serial: 86011876 MANUAL

WATER 86011879 02-038520 257 SUNSET DR 1.000 S 5/8" 6/25/2019  ON
Serial: 86011879 MANUAL

WATER 70171638 02-038521 269 SUNSET DR 1.000 R-P 5/8 1/01/2009 9/23/2009  ON
Serial: 70171638 MANUAL 1/01/2009

WATER 86011866 02-038525 260 SUNSET DR 1.000 S 5/8" 6/24/2019  OFF
Serial: 86011866 1.000 MANUAL

WATER 86011865 02-038530 268 SUNSET DR 1.000 S 5/8" 6/24/2019  ON
Serial: 86011865 MANUAL

WATER 84007941 02-038600 270 SUNSET DR 1.000 s 5/8" 4/04/2018  ON
Serial: 84007941 MANUAL

WATER 68691865 02-038615 271 SUNSET DR 1.000 R-P 5/8 1/01/2009 1/23/2009  ON
Serial: 68691865 MANUAL 1/01/2009

WATER 86011864 02-038620 291 SUNSET DR 1.000 S 5/8" 6/24/2019  ON
Serial: 86011864 MANUAL

WATER 68691746 02-038630 313 SUNSET DR 1.000 R-P 1/01/2008 5/30/2008  ON
Serial: 68691746 MANUAL 1/01/2008

WATER 73987821 02-038632 310 SUNSET DR 1.000 S 5/8" 3/21/2013  ON
Serial: 73987821 MANUAL

WATER 86011863 02-038635 316 SUNSET DR 1.000 S 5/8" 6/24/2019  ON
Serial: 86011863 MANUAL

WATER 86011862 02-038640 322 SUNSET DR 1.000 S 5/8" 6/24/2019  ON
Serial: 86011862 MANUAL

WATER 63056424 02-038900 117 UNION ST 1.000 R-P 5/8 1/01/2004 4/28/2004  OFF
Serial: 63056424 MANUAL 1/01/2004

WATER 80003159 02-039105 141 UNION ST 1.000 s 5/8" 4/21/2016  ON

Serial: 80003159 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 14
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 02 - BOOK 02
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 80003161 02-039110 167 UNION ST 1.000 s 5/8" 4/20/2016  ON
Serial: 80003161 MANUAL
WATER 86011777 02-040000 106 CHESAPEAKE ST 1.000 s 5/8" 6/25/2019  OFF
Serial: 86011777 1.000 MANUAL
WATER 88240075 02-040100 112 CHESAPEAKE ST 1.000 S 5/8" 6/22/2020  ON
Serial: 88240075 MANUAL
WATER 73987796 02-040112 120 CHESAPEAKE ST 1.000 S 5/8" 3/21/2013 ON
Serial: 73987796 MANUAL
WATER 51182445 02-040200 150 NINTH ST 1.000 R-P 5/8 1/01/1996 12/30/2000  OFF
Serial: 51182445 MANUAL 1/01/1996
WATER 68691962 02-040300 154 NINTH ST 1.000 R-P 1/01/2008 5/30/2008  OFF
Serial: 68691962 MANUAL 1/01/2008
WATER 82386656 02-040400 160 NINTH ST 1.000 S 5/8" 6/28/2017  ON
Serial: 82386656 MANUAL
WATER 90301564 02-040500 149 DAWSON ST 1.000 S 5/8" 4/21/2022  ON
Serial: 90301564 MANUAL
WATER 86011730 02-040600 164 NINTH ST 1.000 S 5/8" 10/02/2019  ON
Serial: 86011730 MANUAL
WATER 86011742 02-040608 200 NINTH ST 1.000 s 5/8" 7/22/2019  ON
Serial: 86011742 MANUAL
WATER 86011773 02-040610 122 PARRISH PL 1.000 S 5/8" 6/25/2019  ON
Serial: 86011773 MANUAL
WATER 63056420 02-040612 116 PARRISH PL 1.000 S 5/8" 6/14/2012  OFF
Serial: 63056420 1.000 MANUAL
WATER 86011776 02-040616 204 NINTH ST 1.000 S 5/8" 6/25/2019  ON
Serial: 86011776 MANUAL
WATER 68692025 02-040620 207 NINTH ST 1.000 R-P 1/01/2008 4/30/2008  ON
Serial: 68692025 MANUAL 1/01/2008
WATER 88239960 02-040622 211 NINTH ST 1.000 S 5/8" 6/22/2020  ON
Serial: 88239960 MANUAL
WATER 96689059 02-040700 162 DAWSON ST 1.000 S-IPRL 5/8" 10/09/2024 ON
Serial: 96689059 MANUAL
WATER 86011893 02-040705 167 DAWSON ST 1.000 s 5/8" 12/17/2019  ON
Serial: 86011893 MANUAL
WATER 63056399 02-040800 169 DAWSON ST 1.000 S 5/8" 9/27/2012 ON
Serial: 63056399 MANUAL
WATER 73987822 02-040900 166 DAWSON ST 1.000 S 5/8" 3/21/2013  ON
Serial: 73987822 MANUAL
WATER 96689007 02-040910 171 DAWSON ST 1.000 S-IPRL  5/8" 3/25/2025  ON
Serial: 96689007 MANUAL
WATER 90301562 02-041000 173 DAWSON ST 1.000 S 5/8" 4/21/2022  ON
Serial: 90301562 MANUAL
WATER 80003162 02-041005 115 PARRISH PL 1.000 s 5/8" 4/20/2016  ON
Serial: 80003162 MANUAL
WATER 80003163 02-041010 121 PARRISH PL 1.000 s 5/8" 4/20/2016  ON
Serial: 80003163 MANUAL
WATER 68692021 02-041100 125 NINTH ST 1.000 R-P 5/8 1/01/2008 4/25/2008  ON
Serial: 68692021 MANUAL 1/01/2008





2/11/2026 12:41 PM REPORT PAGE : 15
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 03 - BOOK 03
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 84008050 03-041300 168 WARWICK ST 1.000 S 5/8" 8/15/2018 8/16/2018  ON
Serial: 84008050 MANUAL
WATER 71032123 03-041399 162 WARWICK ST 1.000 S-P 5/8 1/01/2010 3/08/2010  ON
Serial: 71032123 MANUAL
WATER 73988035 03-041400 162 WARWICK ST 1.000 S 5/8" 3/26/2013  ON
Serial: 73988035 MANUAL
WATER 73988034 03-041600 160 WARWICK ST 1.000 s 5/8" 2/26/2013  ON
Serial: 73988034 MANUAL
WATER 56458160 03-041700 156 WARWICK ST 1.000 R-P 5/8 1/01/2001 7/25/2001  OFF
Serial: 56458160 MANUAL 1/01/2001
WATER 84008032 03-041800 151 WARWICK ST 1.000 s 5/8" 10/03/2018  ON
Serial: 84008032 MANUAL
WATER 73987975 03-041900 148 WARWICK ST 1.000 S 5/8" 8/13/2013  ON
Serial: 73987975 MANUAL
WATER 80003158 03-042000 146 WARWICK ST 1.000 S 5/8" 4/21/2016  ON
Serial: 80003158 MANUAL
WATER 68691948 03-042100 141 WARWICK ST 1.000 R-P 5/8 1/01/2008 4/28/2008  OFF
Serial: 68691948 MANUAL 1/01/2008
WATER 68691940 03-042200 139 WARWICK ST 1.000 0-P 5/8 1/01/2009 1/23/2009  ON
Serial: 68691940 MANUAL 1/01/2009
WATER 68692020 03-042300 136 WARWICK ST 1.000 R-P 5/8 1/01/2008 4/25/2008  ON
Serial: 68692020 MANUAL 1/01/2008
WATER 71032025 03-042400 135 WARWICK ST 1.000 S-P 5/8 1/01/2010 3/18/2010 ON
Serial: 71032025 MANUAL 1/01/2010
WATER 54578763 03-042500 134 WARWICK ST 1.000 R-P 5/8 3/01/2000 3/21/2000  ON
Serial: 54578763 MANUAL 3/01/2000
WATER 67641516 03-042600 128 WARWICK ST 1.000 S-P 5/8 1/01/2007 4/21/2008  ON
Serial: 67641516 MANUAL 1/01/2007
WATER 88239881 03-042900 122 WARWICK ST 1.000 S 5/8" 2/05/2021  ON
Serial: 88239881 MANUAL
WATER 90301563 03-043000 110 WARWICK ST 1.000 S 5/8" 4/21/2022 ON
Serial: 90301563 MANUAL
WATER 90301771 03-043100 111 WARWICK ST 1.000 s 5/8" 12/06/2021  ON
Serial: 90301771 MANUAL
WATER 100933463 03-043105 103 WARWICK ST 1.000 S-IPRL  5/8" 9/02/2025  ON
Serial: 100933463 MANUAL
WATER 73988033 03-043110 101 WARWICK ST 1.000 S 5/8" 3/22/2013  ON
Serial: 73988033 MANUAL
WATER 82386352 03-043200 206 SEVENTH ST 1.000 S 5/8" 6/28/2017  ON
Serial: 82386352 MANUAL
WATER 90301559 03-043302 221 SEVENTH ST 1.000 S 5/8" 4/21/2022  ON
Serial: 90301559 MANUAL
WATER 71458548 03-043303 221 SEVENTH ST 1.000 s 5/8" 10/19/2010  ON
Serial: 71458548 MANUAL
WATER 90301557 03-043305 226 SEVENTH ST 1.000 s 5/8" 4/21/2022  ON
Serial: 90301557 MANUAL
WATER 84007922 03-043400 223 SEVENTH ST 1.000 s 5/8" 2/28/2018  ON
Serial: 84007922 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 16

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 03 - BOOK 03

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 71031985 03-043500 237 SEVENTH ST 1.000 s-P 5/8 1/01/2010 3/18/2010  OFF
Serial: 71031985 MANUAL 1/01/2010

WATER 88240038 03-043510 248 SEVENTH ST 1.000 S 5/8" 8/21/2020  ON
Serial: 88240038 MANUAL

WATER 80003160 03-043525 252 SEVENTH ST 1.000 S 5/8" 4/21/2016  ON
Serial: 80003160 MANUAL

WATER 88240077 03-043535 253 SEVENTH ST 1.000 S 5/8" 6/23/2020  ON
Serial: 88240077 MANUAL

WATER 68692105 03-043700 192 SEVENTH ST 1.000 S-P 5/8 1/01/2008 6/24/2008  ON
Serial: 68692105 MANUAL 1/01/2008

WATER 84008101 03-043800 134 CLARK ST 1.000 s 5/8" 1/28/2019  ON
Serial: 84008101 MANUAL

WATER 80003123 03-043900 135 CLARK ST 1.000 S 5/8" 4/21/2016  ON
Serial: 80003123 MANUAL

WATER 80003126 03-044000 138 CLARK ST 1.000 S 5/8" 4/21/2016  ON
Serial: 80003126 MANUAL

WATER 68691943 03-044100 139 CLARK ST 1.000 R-P 5/8 1/01/2009 1/23/2009  ON
Serial: 68691943 MANUAL 1/01/2009

WATER 80003125 03-044200 145 CLARK ST 1.000 s 5/8" 4/21/2016  ON
Serial: 80003125 MANUAL

WATER 86011772 03-044300 146 CLARK ST 1.000 S 5/8" 6/25/2019  ON
Serial: 86011772 MANUAL

WATER 86011775 03-044400 149 CLARK ST 1.000 S 5/8" 6/25/2019  ON
Serial: 86011775 MANUAL

WATER 86011724 03-044700 177 FIFTH ST 1.000 s 5/8" 1/30/2020  ON
Serial: 86011724 MANUAL

WATER 86011774 03-044800 162 CLARK ST 1.000 S 5/8" 6/25/2019  ON
Serial: 86011774 MANUAL

WATER 68691863 03-044900 173 FIFTH ST 1.000 R-P 5/8 1/01/2009 1/23/2009 ON
Serial: 68691863 MANUAL 1/01/2009

WATER 68691938 03-045000 170 FIFTH ST 1.000 S-P 5/8 1/01/2009 1/23/2009 ON
Serial: 68691938 MANUAL 1/01/2009

WATER 88239964 03-045100 171 FIFTH ST 1.000 S 5/8" 6/23/2020  ON
Serial: 88239964 MANUAL

WATER 80003127 03-045200 164 FIFTH ST 1.000 s 5/8" 4/21/2016  ON
Serial: 80003127 MANUAL

WATER 86011855 03-045300 163 FIFTH ST 1.000 S 5/8" 6/25/2019  ON
Serial: 86011855 MANUAL

WATER 90301713 03-047001 270 LEARNING LN 1.000 s 5/8" 12/12/2022  ON
Serial: 90301713 MANUAL

WATER 90301638 03-047003 310 LEARNING LN 1.000 S 5/8" 10/27/2023  ON
Serial: 90301638 MANUAL

WATER 67641389 03-047004 320 LEARNING LN 1.000 S-P 5/8 1/01/2007 6/20/2007  ON
Serial: 67641389 MANUAL

WATER 72854018 03-047006  LOT 6 LEARNING LN 1.000 s 5/8" 7/24/2025  ON
Serial: 72854018 MANUAL

WATER 88239775 03-047008 131 GABRIELLE LN 1.000 s 5/8" 2/16/2022  ON

Serial: 88239775 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 17

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 03 - BOOK 03

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 88239835 03-047010 147 GABRIELLE LN 1.000 s 5/8" 9/23/2020  ON
Serial: 88239835 MANUAL

WATER 84008018 03-047011 144 GABRIELLE LN 1.000 s 5/8" 6/02/2020  ON
Serial: 84008018 MANUAL

WATER 88239794 03-047013 108 GABRIELLE LN 1.000 S 5/8" 2/25/2021  ON
Serial: 88239794 MANUAL

WATER 88239959 03-047500 266 RIVER JAMES & 268 1.000 S 5/8" 6/23/2020 ON
Serial: 88239959 MANUAL

WATER 88239963 03-047600 29-A MOORMAN FARM 1.000 S 5/8" 6/23/2020  ON
Serial: 88239963 MANUAL

WATER 80002904 03-047705 122 MERRY ACRES DR 1.000 s 5/8" 4/21/2016  ON
Serial: 80002904 MANUAL

WATER 88239962 03-047710 130 MERRY ACRES DR 1.000 S 5/8" 6/23/2020  ON
Serial: 88239962 MANUAL

WATER 88239930 03-047711 137 MERRY ACRES DR A 1.000 s 5/8" 3/30/2021  ON
Serial: 88239930 MANUAL

WATER 70171437 03-047712 137 MERRY ACRES DR B 1.000 S-P 5/8 1/01/2009 6/17/2009  ON
Serial: 70171437 MANUAL 1/01/2009

WATER 80002901 03-047715 136 MERRY ACRES DR 1.000 s 5/8" 4/21/2016  ON
Serial: 80002901 MANUAL

WATER 80002900 03-047720 127 KENMORE DR 1.000 s 5/8" 4/21/2016  ON
Serial: 80002900 MANUAL

WATER 73681849 03-048000 130 MARTINS LN 1.000 s 5/8" 1/19/2012  ON
Serial: 73681849 MANUAL

WATER 88240074 03-048010 115 KENMORE DR 1.000 S 5/8" 6/23/2020  ON
Serial: 88240074 MANUAL

WATER 88240056 03-048015 140 MARTINS LN 1.000 s 5/8" 6/23/2020  ON
Serial: 88240056 MANUAL

WATER 82386353 03-048020 146 MARTINS LN 1.000 S 5/8" 6/29/2017  ON
Serial: 82386353 MANUAL

WATER 88240005 03-048022 158 MARTINS LN 1.000 S 5/8" 6/23/2020  ON
Serial: 88240005 MANUAL

WATER 88240001 03-048023 166 MARTINS LN 1.000 S 5/8" 6/23/2020  ON
Serial: 88240001 MANUAL

WATER 90301428 03-048024 161 MARTINS LN 1.000 s 5/8" 2/22/2024  ON
Serial: 90301428 MANUAL

WATER 88240004 03-048025 163 MARTINS LN 1.000 S 5/8" 6/23/2020  ON
Serial: 88240004 MANUAL

WATER 88240003 03-048026 167 MARTINS LN 1.000 s 5/8" 6/23/2020  ON
Serial: 88240003 MANUAL

WATER 88240002 03-048030 181 MARTINS LN 1.000 S 5/8" 6/23/2020  ON
Serial: 88240002 MANUAL

WATER 68691860 03-048035 189 MARTINS LN 1.000 R-P 5/8 1/01/2009 1/23/2009 ON
Serial: 68691860 MANUAL 1/01/2009

WATER 88240058 03-048040 197 MARTINS LN 1.000 S 5/8" 6/23/2020  ON
Serial: 88240058 MANUAL

WATER 88240055 03-048050 207 MARTINS LN 1.000 S 5/8" 6/23/2020  ON

Serial: 88240055 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 18

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 03 - BOOK 03

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 80003122 03-048055 213 MARTINS LN 101 1.000 S 5/8" 4/21/2016  ON
Serial: 80003122 MANUAL

WATER 58881682 03-048056 213 MARTINS LN 102 1.000 s 5/8" 6/25/2010  ON
Serial: 588816282 MANUAL

WATER 80003124 03-048057 213 MARTINS LN 103 1.000 S 5/8" 4/21/2016  ON
Serial: 80003124 MANUAL

WATER 80002994 03-048058 213 MARTINS LN 104 1.000 s 5/8" 4/14/2016  ON
Serial: 80002994 MANUAL

WATER 68691830 03-048059 215 MARTINS LN 1.000 S-P 5/8 1/01/2009 1/22/2009  ON
Serial: 68691830 MANUAL

WATER 68691837 03-048060 217 MARTINS LN 1.000 S-P 5/8 1/01/2008 1/22/2009  ON
Serial: 68691837 MANUAL

WATER 64642739 03-048100 127 VETERAN PASSAGE 1.000 s-P 1/01/2005 3/08/2005  ON
Serial: 64642739 MANUAL 1/01/2005

WATER 88240060 03-048115 5309 S AMHERST HWY 1.000 s 5/8" 6/23/2020  ON
Serial: 88240060 MANUAL

WATER 80002988 03-048205 132 THACKER LN 1.000 S 5/8" 4/14/2016  ON
Serial: 80002988 MANUAL

WATER 88240006 03-048300 116 OLD TOWN CONNECTOR 1.000 S 5/8" 6/23/2020  ON
Serial: 88240006 MANUAL

WATER 80002989 03-048305 118 OLD TOWN CONNECTOR 1.000 S 5/8" 4/14/2016 ON
Serial: 80002989 MANUAL

WATER 84007982 03-048306 136 THACKER LN 1.000 S 5/8" 3/23/2018  ON
Serial: 84007982 MANUAL

WATER 88240010 03-048505 112 MERRYMOOR DR 1.000 S 5/8" 6/23/2020  ON
Serial: 88240010 MANUAL

WATER 80002986 03-048800 128 OTWAY DR 1.000 S 5/8" 4/14/2016  ON
Serial: 80002986 MANUAL

WATER 82386348 03-048805 114 MOORMAN DR 1.000 S 5/8" 6/29/2017  ON
Serial: 82386348 MANUAL

WATER 80002992 03-048810 128 MOORMAN DR 1.000 s 5/8" 4/19/2016  ON
Serial: 80002992 MANUAL

WATER 82386351 03-048815 140 MOORMAN DR 1.000 S 5/8" 6/29/2017  ON
Serial: 82386351 MANUAL

WATER 80002990 03-048820 148 MOORMAN DR 1.000 S 5/8" 4/19/2016 ON
Serial: 80002990 MANUAL

WATER 82386350 03-048821 156 MOORMAN DR 1.000 S 5/8" 6/29/2017  ON
Serial: 82386350 MANUAL

WATER 90301605 03-048822 168 MOORMAN DR 1.000 S 5/8" 10/07/2021  ON
Serial: 90301605 MANUAL

WATER 90301632 03-048835 174 MOORMAN DR 1.000 S 5/8" 3/30/2022 3/22/2022  ON
Serial: 90301632 MANUAL

WATER 80002993 03-048840 180 MOORMAN DR 1.000 S 5/8" 4/19/2016 ON
Serial: 80002993 MANUAL

WATER 75618583 03-048850 104 RIVER RIDGE RD 1.000 S 5/8" 3/17/2015  ON

MANUAL
WATER 82386617 03-048851 114 RIVER RIDGE RD 1.000 S 5/8" 6/29/2017  ON

Serial: 82386617 MANUAL
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DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 03 - BOOK 03
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 73987854 03-048852 118 RIVER RIDGE RD 1.000 S 5/8" 3/22/2013  ON
Serial: 73987854 MANUAL
WATER 80002991 03-048853 128 RIVER RIDGE RD 1.000 S 5/8" 4/19/2016  ON
Serial: 80002991 MANUAL
WATER 80002899 03-048854 132 RIVER RIDGE RD 1.000 S 5/8" 4/19/2016  ON
Serial: 80002899 MANUAL
WATER 80002897 03-048855 140 RIVER RIDGE RD 1.000 s 5/8" 4/19/2016  ON
Serial: 80002897 MANUAL
WATER 82386349 03-048856 146 RIVER RIDGE RD 1.000 S 5/8" 6/29/2017  ON
Serial: 82386349 MANUAL
WATER 86011854 03-048857 162 RIVER RIDGE RD 1.000 S 5/8" 6/25/2019  ON
Serial: 86011854 MANUAL
WATER 82386616 03-048858 168 RIVER RIDGE RD 1.000 S 5/8" 6/29/2017  ON
Serial: 82386616 MANUAL
WATER 80002896 03-048859 170 RIVER RIDGE RD 1.000 S 5/8" 4/19/2016  ON
Serial: 80002896 MANUAL
WATER 75618780 03-048861 173 RIVER RIDGE RD 1.000 S 5/8" 5/28/2014  ON
Serial: 75618780 MANUAL
WATER 90301769 03-048866 161 RIVER RIDGE RD 1.000 s 5/8" 10/07/2021  ON
Serial: 90301769 MANUAL
WATER 88240007 03-048867 153 RIVER RIDGE RD 1.000 s 5/8" 7/23/2020  ON
Serial: 88240007 MANUAL
WATER 54773400 03-048869 147 RIVER RIDGE RD 1.000 R-P 5/8 1/01/1998 2/22/1999  ON
Serial: 54773400 MANUAL 1/01/1998
WATER 54773395 03-048870 113 RIVER RIDGE RD 1.000 R-P 5/8 1/01/1998 2/22/1999  ON
Serial: 54773395 MANUAL 1/01/1998
WATER 80002894 03-048873 208 MOORMAN DR 1.000 S 5/8" 4/19/2016  ON
Serial: 80002894 MANUAL
WATER 80002895 03-048874 216 MOORMAN DR 1.000 S 5/8" 4/19/2016  ON
Serial: 80002895 MANUAL
WATER 88240008 03-048875 226 MOORMAN DR 1.000 s 5/8" 7/23/2020  ON
Serial: 88240008 MANUAL
WATER 80002898 03-048876 234 MOORMAN DR 1.000 S 5/8" 4/19/2016 ON
Serial: 80002898 MANUAL
WATER 84008112 03-048879 238 MOORMAN DR 1.000 S 5/8" 3/23/2018  OFF
Serial: 84008112 1.000 MANUAL
WATER 80002856 03-048881 239 MOORMAN DR 1.000 S 5/8" 4/20/2016  ON
Serial: 80002856 MANUAL
WATER 71458595 03-048882 235 MOORMAN DR 1.000 S 5/8" 1/13/2011  ON
Serial: 71458595 MANUAL
WATER 54773396 03-048884 219 MOORMAN DR 1.000 R-P 1/01/1998 2/22/1999  ON
Serial: 54773396 MANUAL 1/01/1998
WATER 80002857 03-048885 213 MOORMAN DR 1.000 s 5/8" 4/20/2016  ON
Serial: 80002857 MANUAL
WATER 80002852 03-048886 193 MOORMAN DR 1.000 S 5/8" 4/20/2016 ON
Serial: 80002852 MANUAL
WATER 88240012 03-049000 177 MOORMAN DR 1.000 s 5/8" 7/23/2020  ON
Serial: 88240012 MANUAL
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- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

54773398
54773398
71458599
71458599
88240011
88240011
54773397
54773397
80002841
80002841
88240057
88240057
88239935
88239935
80002930
80002930
80002893
80002893
80002892
80002892
80002890
80002890
75618663
75618663
80002891
80002891
80002889
80002889
80002874
80002874
80002875
80002875
80002871
80002871
86011850
86011850
80002873
80002873
80002872
80002872
68692016
68692016
84008051
84008051
88240059
88240059
80003145
80003145

03-049002

03-049005

03-049010

03-049017

03-049018

03-049019

03-049020

03-049022

03-049023

03-049024

03-049025

03-049026

03-049027

03-049029

03-049030

03-049031

03-049032

03-049033

03-049034

03-049200

03-049205

03-049210

03-049215

03-049227

167

MOORMAN DR

MOORMAN DR

MOORMAN DR

SCOTTS MILL RD

SCOTTS MILL RD

SCOTTS MILL RD

SCOTTS MILL RD

SCOTTS MILL RD

SCOTTS MILL RD

SCOTTS MILL RD

SCOTTS MILL RD

SCOTTS MILL RD

SCOTTSMILL RD

SCOTTS MILL RD

SCOTTS MILL RD

SCOTTS MILL RD

SCOTTS MILL RD

SCOTTS MILL RD

SCOTTS MILL RD

MOORMAN DR

MOORMAN DR

MOORMAN DR

MOORMAN DR

OTWAY DR 4

R-P
MANUAL
S
MANUAL

MANUAL
R-P
MANUAL

MANUAL
S
MANUAL
S
MANUAL
S
MANUAL

MANUAL

MANUAL

MANUAL
S
MANUAL
S
MANUAL
S
MANUAL

MANUAL

MANUAL

MANUAL
S
MANUAL
S
MANUAL
S
MANUAL
R-P
MANUAL

MANUAL

MANUAL

S
MANUAL

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

1/01/1998

1/01/1998

1/01/2008

8/15/2018

2/22/1999

1/01/1998

1/13/2011

7/23/2020

2/22/1999

1/01/1998

6/06/2016

7/23/2020

6/05/2020

4/14/2016

4/19/2016

4/19/2016

4/19/2016

4/19/2016

4/19/2016

4/19/2016

4/19/2016

4/19/2016

4/19/2016

6/25/2019

4/19/2016

4/19/2016

4/25/2008

1/01/2008

8/16/2018

7/23/2020

4/20/2016

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON





2/11/2026 12:41 PM METER REPORT PAGE : 21

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 03 - BOOK 03

————— SERVICE ADDRESS ------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 80002870 03-049228 135 OTWAY DR 3 1.000 s 5/8" 4/20/2016  ON
Serial: 80002870 MANUAL

WATER 80003142 03-049229 135 OTWAY DR 2 1.000 S 5/8" 4/20/2016  ON
Serial: 80003142 MANUAL

WATER 80003143 03-049230 135 OTWAY DR 1 1.000 S 5/8" 4/20/2016  ON
Serial: 80003143 MANUAL

WATER 80003141 03-049231 125 OTWAY DR 4 1.000 S 5/8" 4/20/2016  ON
Serial: 80003141 MANUAL

WATER 80003140 03-049232 125 OTWAY DR 3 1.000 S 5/8" 4/20/2016  ON
Serial: 80003140 MANUAL

WATER 80002853 03-049233 125 OTWAY DR 2 1.000 S 5/8" 4/20/2016  ON
Serial: 80002853 MANUAL

WATER 80002855 03-049234 125 OTWAY DR 1 1.000 s 5/8" 4/20/2016  ON
Serial: 80002855 MANUAL

WATER 80002946 03-049235 119 OTWAY DR 4 1.000 S 5/8" 4/20/2016  ON
Serial: 80002946 MANUAL

WATER 80002947 03-049236 119 OTWAY DR 3 1.000 S 5/8" 4/20/2016  ON
Serial: 80002947 MANUAL

WATER 80002944 03-049237 119 OTWAY DR 2 1.000 S 5/8" 4/20/2016  ON
Serial: 80002944 MANUAL

WATER 80002943 03-049238 119 OTWAY DR 201 1.000 S 5/8" 4/20/2016  ON
Serial: 80002943 MANUAL

WATER 73988032 03-049240 115 OTWAY DR 201 1.000 s 5/8" 3/26/2013  ON
Serial: 73988032 MANUAL

WATER 73988030 03-049241 115 OTWAY DR 101 1.000 s 5/8" 3/22/2013  ON

Serial: 73988030 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 22

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 04 - BOOK 04

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 68691941 04-049300 114 MADISON CIR REAR 1.000 R-P 5/8 1/01/2009 1/23/2009  ON
Serial: 68691941 MANUAL 1/01/2009

WATER 58613101 04-049301 114 MADISON CIR FRONT 1.000 S-P 5/8 1/01/2001 0/00/2000  ON
Serial: 58613101 MANUAL 1/01/2001

WATER 80002945 04-049302 118 MADISON CIR 1.000 S 5/8" 4/20/2016  ON
Serial: 80002945 MANUAL

WATER 86011697 04-049303 124 MADISON CIR 1.000 S 5/8" 8/22/2019  ON
Serial: 86011697 MANUAL

WATER 82386612 04-049304 132 MADISON CIR A 1.000 S 5/8" 6/29/2017  ON
Serial: 82386612 MANUAL

WATER 80002982 04-049305 132 MADISON CIR B 1.000 s 5/8" 4/20/2016  OFF
Serial: 80002982 1.000 MANUAL

WATER 82386613 04-049306 138 MADISON CIR 1.000 S 5/8" 6/29/2017  ON
Serial: 82386613 MANUAL

WATER 73681669 04-049307 146 MADISON CIR B 1.000 s 5/8" 9/18/2013  ON
Serial: 73681669 MANUAL

WATER 82386614 04-049308 146 MADISON CIR A 1.000 S 5/8" 6/29/2017  ON
Serial: 82386614 MANUAL

WATER 88240009 04-049309 150 MADISON CIR 1.000 s 5/8" 7/23/2020  ON
Serial: 88240009 MANUAL

WATER 80002983 04-049400 151 MADISON CIR 1.000 s 5/8" 4/20/2016  ON
Serial: 80002983 MANUAL

WATER 82386765 04-049401 145 MADISON CIR 1.000 s 5/8" 7/06/2017  ON
Serial: 82386765 MANUAL

WATER 88240101 04-049402 137 MADISON CIR 1.000 s 5/8" 8/18/2020  ON
Serial: 88240101 MANUAL

WATER 82386573 04-049403 127 MADISON CIR 1.000 S 5/8" 7/06/2017  ON
Serial: 82386573 MANUAL

WATER 66510692 04-049598 202 MIDDLETON CIR 1.000 R-P 5/8 1/01/1997 3/30/2007  ON
Serial: 66510692 MANUAL 1/01/1997

WATER 51182269 04-049600 201 MIDDLETON CIR 1.000 R-P 5/8 1/01/1997 3/30/2007  ON
Serial: 51182269 MANUAL 1/01/1997

WATER 88240097 04-049700 126 MIDDLETON CIR 1.000 S 5/8" 8/18/2020  ON
Serial: 88240097 MANUAL

WATER 80002978 04-049900 134 EARLY DR 1.000 s 5/8" 4/20/2016  ON
Serial: 80002978 MANUAL

WATER 67412739 04-049905 141 EARLY DR 1.000 S-P 5/8 1/01/2007 3/02/2007  ON
Serial: 67412739 MANUAL 1/01/2007

WATER 58613103 04-049910 156 EARLY DR 1.000 S-P 5/8 1/01/2001 0/00/2000  OFF
Serial: 58613103 MANUAL 1/01/2001

WATER 88240043 04-049911 155 EARLY DR 1.000 S 5/8" 8/18/2020  ON
Serial: 88240043 MANUAL

WATER 100933434 04-051000 179 ROCKY HILL RD 1.000 S-IPRL  5/8" 11/19/2025  ON
Serial: 100933434 MANUAL

WATER 60181503 04-052000 284 LYNCHS FERRY RD 1.000 S-P 5/8 1/01/2003 10/21/2003  ON
Serial: 60181503 MANUAL 1/01/2003

WATER 88240100 04-052010 290 LYNCHS FERRY RD 1.000 S 5/8" 8/18/2020  ON

Serial: 88240100 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 23

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 04 - BOOK 04

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 88240045 04-052015 308 LYNCHS FERRY RD 1.000 S 5/8" 8/18/2020  ON
Serial: 88240045 MANUAL

WATER 68692027 04-052050 279 LYNCHS FERRY RD 1.000 S-P 1/01/2008 4/25/2008  ON
Serial: 68692027 MANUAL 1/01/2008

WATER 66213823 04-052070 273 LYNCHS FERRY RD 1.000 S-P 5/8 1/01/2006 4/04/2006  ON
Serial: 66213823 MANUAL 1/01/2006

WATER 58613100 04-060000 257 OLD TOWN CONNECTOR 1.000 S-P 5/8 1/01/2001 12/30/2000  ON
Serial: 58613100 MANUAL 1/01/2001

WATER 68691732 04-060005 253 MAIN ST 1.000 R-P 5/8 1/01/2009 1/23/2009 ON
Serial: 68691732 MANUAL 1/01/2009

WATER 84008094 04-060010 107 GOLF DR 1.000 s 5/8" 2/28/2018  ON
Serial: 84008094 MANUAL

WATER 88240099 04-060015 247 MAIN ST 1.000 s 5/8" 8/18/2020  ON
Serial: 88240099 MANUAL

WATER 88239719 04-060020 105 GOLF DR 1.000 S 5/8" 8/18/2020  ON
Serial: 88239719 MANUAL

WATER 80002980 04-060030 109 GOLF DR 1.000 S 5/8" 4/20/2016  ON
Serial: 80002980 MANUAL

WATER 96688967 04-060035 111 GOLF DR 1.000 S-IPRL 5/8" 4/25/2025 ON
Serial: 96688967 MANUAL

WATER 88240046 04-060100 106 GOLF DR 1.000 s 5/8" 8/18/2020  ON
Serial: 88240046 MANUAL

WATER 88240098 04-060200 224 MAIN ST 1.000 S 5/8" 8/18/2020  ON
Serial: 88240098 MANUAL

WATER 68692017 04-060300 217 MAIN ST 1.000 s-P 5/8 1/01/2008 4/25/2008  ON
Serial: 68692017 MANUAL 1/01/2008

WATER 88239720 04-060400 212 MAIN ST 1.000 S 5/8" 8/19/2020  ON
Serial: 88239720 MANUAL

WATER 88240048 04-060500 213 MAIN ST 1.000 S 5/8" 8/19/2020  OFF
Serial: 88240048 1.000 MANUAL

WATER 67412737 04-060600 135 ROGERS DR 1.000 s-P 5/8 1/01/2007 3/02/2007  ON
Serial: 67412737 MANUAL 1/01/2007

WATER 56458188 04-060700 204 ROGERS DR 1.000 R-P 5/8 1/01/2001 5/29/2001  ON
Serial: 56458188 MANUAL 1/01/2001

WATER 88239722 04-060800 205 MAIN ST 1.000 s 5/8" 8/19/2020  ON
Serial: 88239722 MANUAL

WATER 68691947 04-061200 112 CAMPBELL ST 1.000 S-P 5/8 1/01/2008 4/25/2008  OFF
Serial: 68691947 MANUAL 1/01/2008

WATER 88240047 04-061300 120 CAMPBELL ST 1.000 s 5/8" 8/19/2020  ON
Serial: 88240047 MANUAL

WATER 82386570 04-061400 127 CAMPBELL ST 1.000 S 5/8" 7/06/2017  ON
Serial: 82386570 MANUAL

WATER 80002981 04-061500 133 CAMPBELL ST 1.000 s 5/8" 4/20/2016  ON
Serial: 80002981 MANUAL

WATER 82386389 04-061600 124 CAMPBELL ST 1.000 s 5/8" 12/12/2017  ON
Serial: 82386389 MANUAL

WATER 67641651 04-061700 130 CAMPBELL ST 1.000 S-P 5/8 1/01/2007 5/09/2007  ON

Serial: 67641651 MANUAL 1/01/2007





2/11/2026 12:41 PM METER REPORT PAGE : 24

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 04 - BOOK 04

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 80002979 04-061800 135 CAMPBELL ST 1.000 S 5/8" 4/20/2016  ON
Serial: 80002979 MANUAL

WATER 88239721 04-061900 136 CAMPBELL ST 1.000 s 5/8" 8/19/2020  ON
Serial: 88239721 MANUAL

WATER 52407230 04-062000 148 CAMPBELL ST 1.000 R-P 5/8 1/01/1997 8/14/1997  ON
Serial: 52407230 MANUAL 1/01/1997

WATER 59011041 04-062100 150 CAMPBELL ST 1.000 R-P 5/8 1/01/2002 3/28/2002  OFF
Serial: 59011041 MANUAL 1/01/2002

WATER 90301413 04-062200 192 MAIN ST 1.000 S 5/8" 6/04/2024  ON
Serial: 90301413 MANUAL

WATER 90301500 04-062210 188 MAIN ST 1.000 S 5/8" 8/06/2024  ON
Serial: 90301500 MANUAL

WATER 80003174 04-062300 189 MAIN ST 1.000 S 5/8" 4/20/2016  ON
Serial: 80003174 MANUAL

WATER 82386575 04-062400 182 MAIN ST 1.000 S 5/8" 7/06/2017  ON
Serial: 82386575 MANUAL

WATER 88240044 04-062500 178 MAIN ST 1.000 S 5/8" 8/19/2020  ON
Serial: 88240044 MANUAL

WATER 82386574 04-062600 130 MILLER LN 1.000 s 5/8" 7/06/2017  ON
Serial: 82386574 MANUAL

WATER 88239956 04-062700 173 MAIN ST 1.000 S 5/8" 8/19/2020  ON
Serial: 88239956 MANUAL

WATER 68691945 04-062710 167 MAIN ST 1.000 S-P 1/01/2008 5/30/2008  ON
Serial: 68691945 MANUAL 1/01/2008

WATER 80003175 04-062800 157 MAIN ST 1.000 s 5/8" 4/20/2016  ON
Serial: 80003175 MANUAL

WATER 88239958 04-062900 135 MILLER LN 1.000 s 5/8" 8/19/2020  ON
Serial: 88239958 MANUAL

WATER 88239968 04-063000 149 MAIN ST 1.000 S 5/8" 8/19/2020  ON
Serial: 88239968 MANUAL

WATER 82386531 04-063200 143 MAIN ST 1.000 s 5/8" 1/10/2018  ON
Serial: 82386531 MANUAL

WATER 68692019 04-063300 146 MAIN ST 1.000 S-P 5/8 1/01/2008 4/24/2008 ON
Serial: 68692019 MANUAL 1/01/2008

WATER 88239954 04-063400 129 MAIN ST 1.000 S 5/8" 8/19/2020  ON
Serial: 88239954 MANUAL

WATER 88239966 04-063500 139 MAIN ST 1.000 S 5/8" 8/19/2020  ON
Serial: 88239966 MANUAL

WATER 96689062 04-063600 125 MAIN ST 1.000 S 5/8" 10/16/2024  ON
Serial: 96689062 MANUAL

WATER 86011936 04-063700 119 MAIN ST 1.000 S 5/8" 2/25/2019  ON
Serial: 86011936 MANUAL

WATER 52407131 04-064300 115 WOODYS LN 1.000 R-P 5/8 1/01/1997 8/14/1997  ON
Serial: 52407131 MANUAL 1/01/1997

WATER 68691825 04-064400 114 WOODYS LN 1.000 S-P 5/8 1/01/2008 2/21/2008  ON
Serial: 68691825 MANUAL 1/01/2008

WATER 68692058 04-064500 117 WOODYS LN 1.000 S-P 5/8 1/01/2008 3/27/2008  ON

Serial: 68692058 MANUAL 1/01/2008





2/11/2026 12:41 PM METER REPORT PAGE : 25
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 04 - BOOK 04
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 82386501 04-064600 123 WOODYS LN 1.000 S 5/8" 1/08/2018  ON
Serial: 82386501 MANUAL
WATER 68692023 04-064700 125 WOODYS LN 1.000 S-P 5/8 1/01/2008 4/24/2008  ON
Serial: 68692023 MANUAL 1/01/2008
WATER 68691816 04-064800 131 WOODYS LN 1.000 S-P 1/01/2008 3/26/2008  ON
Serial: 68691816 MANUAL 1/01/2008
WATER 68691817 04-064900 139 WOODYS LN 1.000 S-P 5/8 1/01/2008 3/26/2008 ON
Serial: 68691817 MANUAL 1/01/2008
WATER 68691812 04-065000 138 WOODYS LN 1.000 S-P 5/8 1/01/2008 3/26/2008 ON
Serial: 68691812 MANUAL 1/01/2008
WATER 68691814 04-065100 134 WOODYS LN 1.000 S-P 5/8 1/01/2008 3/26/2008  ON
Serial: 68691814 MANUAL 1/01/2008
WATER 88239955 04-065200 126 WOODYS LN 1.000 S 5/8" 8/19/2020  ON
Serial: 88239955 MANUAL
WATER 84008096 04-065300 124 WOODYS LN 1.000 S 5/8" 1/28/2019  ON
Serial: 84008096 MANUAL
WATER 73681665 04-065400 5169 S AMHERST HWY 1.000 S 5/8" 9/18/2013  ON
Serial: 73681665 MANUAL
WATER 88239967 04-065500 5165 S AMHERST HWY 1.000 S 5/8" 8/19/2020  ON
Serial: 88239967 MANUAL
WATER 88239970 04-065600 5159 S AMHERST HWY 1.000 S 5/8" 8/19/2020  ON
Serial: 88239970 MANUAL
WATER 88240102 04-066010 110 PHELPS RD B 1.000 s 5/8" 7/23/2020  ON
Serial: 88240102 MANUAL
WATER 88239965 04-066100 110 PHELPS RD A 1.000 S 5/8" 8/19/2020  ON
Serial: 88239965 MANUAL
WATER 52407256 04-066200 112 PHELPS RD 1.000 R-P 5/8 1/01/1997 8/14/1997  ON
Serial: 52407256 MANUAL 1/01/1997
WATER 68691733 04-066300 120 PHELPS RD 1.000 R-P 5/8 1/01/2009 1/23/2009 ON
Serial: 68691733 MANUAL 1/01/2009
WATER 68691911 04-066400 122 PHELPS RD 1.000 S-P 5/8 1/01/2008 8/18/2009  ON
Serial: 68691911 MANUAL 1/01/2008
WATER 80003172 04-066600 132 PHELPS RD 1.000 s 5/8" 4/20/2016  ON
Serial: 80003172 MANUAL
WATER 72951785 04-066700 138 PHELPS RD 1.000 S 5/8" 9/18/2013  ON
Serial: 72951785 MANUAL
WATER 73987971 04-066800 115 CENTER ST 1.000 S 5/8" 9/18/2013  ON
Serial: 73987971 MANUAL
WATER 68691890 04-066900 112 CENTER ST 1.000 R-P 5/8 1/01/2009 1/29/2009  ON
Serial: 68691890 MANUAL 1/01/2009
WATER 71032100 04-067000 104 CENTER ST 1.000 S-P 5/8 1/01/2010 2/25/2010  ON
Serial: 71032100 MANUAL 1/01/2010
WATER 75618811 04-067200 148 PHELPS RD 1.000 s 5/8" 10/27/2013  ON
Serial: 75618811 MANUAL
WATER 90301437 04-067300 136 CENTER ST 1.000 s 5/8" 12/12/2023  ON
Serial: 90301437 MANUAL
WATER 68691902 04-067400 138 CENTER ST 1.000 R-P 5/8 1/01/2009 1/29/2009  ON
Serial: 68691902 MANUAL 1/01/2009





2/11/2026 12:41 PM REPORT PAGE : 26
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 04 - BOOK 04
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 80003170 04-067500 156 PHELPS RD 1.000 S 5/8" 4/20/2016  ON
Serial: 80003170 MANUAL
WATER 73681826 04-067505 157 PHELPS RD 1.000 s 5/8" 9/19/2013  ON
Serial: 73681826 MANUAL
WATER 73987970 04-067600 162 PHELPS RD 1.000 S 5/8" 9/19/2013  ON
Serial: 73987970 MANUAL
WATER 88239957 04-067700 163 PHELPS RD 1.000 S 5/8" 8/19/2020  ON
Serial: 88239957 MANUAL
WATER 71031983 04-067800 164 PHELPS RD 1.000 S-P 5/8 1/01/2010 3/19/2010 ON
Serial: 71031983 MANUAL 1/01/2010
WATER 82386605 04-067900 165 PHELPS RD 1.000 s 5/8" 7/07/2017  ON
Serial: 82386605 MANUAL
WATER 90301641 04-068100 117 EAST ST 1.000 s 5/8" 12/06/2022  ON
Serial: 90301641 MANUAL
WATER 80002932 04-068200 120 EAST ST 1.000 S 5/8" 4/21/2016  OFF
Serial: 80002932 1.000 MANUAL
WATER 90301732 04-068300 122 EAST ST 1.000 S 5/8" 10/06/2022  ON
Serial: 90301732 MANUAL
WATER 88239953 04-068400 129 EAST ST 1.000 S 5/8" 8/19/2020 ON
Serial: 88239953 MANUAL
WATER 80002903 04-068500 126 EAST ST 1.000 S 5/8" 4/21/2016 ON
Serial: 80002903 MANUAL
WATER 80002902 04-068600 130 EAST ST 1.000 S 5/8" 4/21/2016 ON
Serial: 80002902 MANUAL
WATER 90301538 04-068700 134 EAST ST 1.000 S 5/8" 10/08/2021  ON
Serial: 90301538 MANUAL
WATER 100933453 04-068707 133 EAST ST 100 1.000 S-IPRL  5/8" 10/09/2025  ON
Serial: 100933453 MANUAL
WATER 88240084 04-068708 133 EAST ST 102 1.000 S 5/8" 8/19/2020  ON
Serial: 88240084 MANUAL
WATER 90301537 04-068709 133 EAST ST 104 1.000 S 5/8" 10/08/2021 ON
Serial: 90301537 MANUAL
WATER 68691893 04-068710 133 EAST ST 106 1.000 S-P 5/8 1/01/2009 1/31/1995 ON
Serial: 68691893 MANUAL 1/01/2009
WATER 68691815 04-068800 136 EAST ST 1.000 S-P 5/8 1/01/2008 3/26/2008 ON
Serial: 68691815 MANUAL 1/01/2008
WATER 88240080 04-068900 142 EAST ST 1.000 S 5/8" 8/19/2020  ON
Serial: 88240080 MANUAL
WATER 73681822 04-069000 177 PHELPS RD 1.000 s 5/8" 9/19/2013  OFF
Serial: 73681822 1.000 MANUAL
WATER 88240081 04-069010 172 PHELPS RD 1.000 S 5/8" 8/19/2020  ON
Serial: 88240081 MANUAL
WATER 58575587 04-069100 183 PHELPS RD 1.000 S-P 5/8 1/01/2001 0/00/2000  ON
Serial: 58575587 MANUAL 1/01/2001
WATER 73681759 04-069200 182 PHELPS RD 1.000 s 5/8" 10/09/2013  ON
Serial: 73681759 MANUAL
WATER 73681774 04-069310 219 PHELPS RD 1.000 S 5/8" 5/29/2012 5/29/2012  OFF
Serial: 73681774 1.000 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 217

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 04 - BOOK 04

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 84008113 04-069315 225 PHELPS RD 1.000 S 5/8" 3/23/2018  OFF
Serial: 84008113 1.000 MANUAL

WATER 73681788 04-069500 234 PHELPS RD 1.000 S 5/8" 6/27/2013 6/27/2013  OFF
Serial: 73681788 1.000 MANUAL

WATER 80002795 04-069600 142 HIGH ST 1.000 S 5/8" 4/26/2016  ON
Serial: 80002795 MANUAL

WATER 80002793 04-069700 143 HIGH ST 1.000 s 5/8" 4/26/2016  ON
Serial: 80002793 MANUAL

WATER 73987981 04-069800 141 HIGH ST 1.000 S 5/8" 8/27/2014 6/04/2015 ON
Serial: 73987981 MANUAL

WATER 73681848 04-069900 134 HIGH ST 1.000 s 5/8" 1/24/2012 1/24/2012  ON
Serial: 73681848 MANUAL

WATER 80002784 04-070000 137 HIGH ST 1.000 S 5/8" 4/26/2016  OFF
Serial: 80002784 1.000 MANUAL

WATER 73681845 04-070100 130 HIGH ST 1.000 S 5/8" 1/24/2012 1/24/2012  ON
Serial: 736818945 MANUAL

WATER 73987921 04-070200 131 HIGH ST 1.000 S 5/8" 8/30/2012  ON
Serial: 73987921 MANUAL

WATER 71458473 04-070300 127 HIGH ST 1.000 S 5/8" 2/01/2012 2/01/2012  ON
Serial: 71458473 MANUAL

WATER 54578634 04-070400 124 HIGH ST 1.000 S-P 5/8 1/01/1997 7/27/2001  ON
Serial: 54578634 MANUAL 1/01/1997

WATER 68691906 04-070401 126 HIGH ST 1.000 R-P 5/8 1/01/2009 1/29/2009  ON
Serial: 68691906 MANUAL 1/01/2009

WATER 80002781 04-070500 121 HIGH ST 1.000 S 5/8" 4/26/2016  ON
Serial: 80002781 MANUAL

WATER 67412740 04-070501 118 HIGH ST 1.000 S-P 5/8 1/01/2007 3/02/2007  ON
Serial: 67412740 MANUAL 1/01/2007

WATER 71031978 04-070600 111 HIGH ST 1.000 S-P 5/8 1/01/2010 3/19/2010  ON
Serial: 71031978 MANUAL 1/01/2010

WATER 58575588 04-070700 114 HIGH ST 1.000 S-P 5/8 1/01/2001 0/00/2000  ON
Serial: 58575588 MANUAL 1/01/2001

WATER 96689016 04-070900 156 CENTER ST 1.000 S-IPRL  5/8" 12/02/2024  ON
Serial: 96689016 MANUAL

WATER 96689036 04-071000 148 CENTER ST 1.000 S 5/8" 12/09/2024 ON
Serial: 96689036 MANUAL

WATER 75618582 04-071100 5101 S AMHERST HWY 1.000 S 5/8" 3/17/2015  ON

MANUAL

WATER 48949510 04-071200 5097 S AMHERST HWY 1.000 S-P 5/8 1/01/2006 12/30/2000  ON
Serial: 48949510 MANUAL 1/01/2006

WATER 59660727 04-071300 5089 S AMHERST HWY 1.000 R-P 5/8 1/01/2002 4/20/2002  ON
Serial: 59660727 MANUAL 1/01/2002

WATER 59295910 04-071400 108 WILLIAMS RD 1.000 R-P 5/8 1/01/2002 4/20/2002  OFF
Serial: 59295910 MANUAL 1/01/2002

WATER 71031982 04-071600 114 WILLIAMS RD 1.000 S-P 5/8 1/01/2010 3/19/2010 ON
Serial: 71031982 MANUAL 1/01/2010

WATER 82386604 04-071700 139 WILLIAMS RD 1.000 s 5/8" 7/07/2017  ON

Serial: 82386604 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 28
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 04 - BOOK 04
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 82386603 04-071800 155 WILLIAMS RD 1.000 S 5/8" 7/07/2017  ON
Serial: 82386603 MANUAL
WATER 58575589 04-071900 175 WILLIAMS RD 1.000 S-P 5/8 1/01/2001 0/00/2000  ON
Serial: 58575589 MANUAL 1/01/2001
WATER 88239969 04-072000 176 WILLIAMS RD 1.000 S 5/8" 8/19/2020  ON
Serial: 88239969 MANUAL
WATER 88240079 04-072100 181 WILLIAMS RD 1.000 S 5/8" 8/19/2020  ON
Serial: 88240079 MANUAL
WATER 68692059 04-072200 195 WILLIAMS RD 1.000 S-P 5/8 1/01/2008 3/27/2008  ON
Serial: 68692059 MANUAL 1/01/2008
WATER 67641140 04-072300 185 WILLIAMS RD 1.000 S-P 5/8 1/01/2008 8/23/2007  ON
Serial: 67641140 MANUAL 1/01/2008
WATER 75618585 04-072400 184 WILLIAMS RD 1.000 S 5/8" 3/17/2015  ON
Serial: 75618585 MANUAL
WATER 100933454 04-072402 190 WILLIAMS RD 1.000 S-IPRL  5/8" 10/10/2025  ON
Serial: 100933454 MANUAL
WATER 80002780 04-072404 201 WILLIAMS RD 1.000 S 5/8" 4/26/2016  ON
Serial: 80002780 MANUAL
WATER 59011043 04-072410 121 WILLIAMS RD 1.000 R-P 5/8 1/01/2002 3/28/2002  OFF
Serial: 59011043 MANUAL 1/01/2002
WATER 86011708 04-072411 101 WILLIAMS RD 1.000 s 5/8" 7/12/2019  ON
Serial: 86011708 MANUAL
WATER 86011709 04-072412 103 WILLIAMS RD 1.000 s 5/8" 7/12/2019  ON
Serial: 86011709 MANUAL
WATER 86011707 04-072413 105 WILLIAMS RD 1.000 S 5/8" 7/12/2019  ON
Serial: 86011707 MANUAL
WATER 84007929 04-072414 107 WILLIAMS RD 1.000 s 5/8" 10/24/2018  ON
Serial: 84007929 MANUAL
WATER 86011898 04-072415 111 WILLIAMS RD 1.000 S 5/8" 4/24/2019  ON
Serial: 86011898 MANUAL
WATER 86011759 04-072416 113 WILLIAMS RD 1.000 s 5/8" 4/24/2019  ON
Serial: 86011759 MANUAL
WATER 86011756 04-072417 115 WILLIAMS RD 1.000 s 5/8" 4/24/2019  ON
Serial: 86011756 MANUAL
WATER 86011901 04-072418 117 WILLIAMS RD 1.000 s 5/8" 4/24/2019  ON
Serial: 86011901 MANUAL
WATER 80003478 04-072500 5065 S AMHERST HWY 1.000 S 5/8" 5/04/2016  ON
Serial: 80003478 MANUAL
WATER 59660590 04-072600 5061 S AMHERST HWY 1.000 R-P 5/8 1/01/2002 12/30/2000  ON
Serial: 59660590 MANUAL 1/01/2002
WATER 80002905 04-072700 112 WELLS RD 1.000 S 5/8" 5/04/2016  ON
Serial: 80002905 MANUAL
WATER 58575485 04-072800 116 WELLS RD 1.000 R-P 5/8 1/01/2001 12/30/2000  ON
Serial: 58575485 MANUAL 1/01/2001
WATER 90301642 04-072900 120 WELLS RD 1.000 s 5/8" 12/06/2022  ON
Serial: 90301642 MANUAL
WATER 82386571 04-072910 117 WELLS RD 1.000 s 5/8" 7/07/2017  ON
Serial: 82386571 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 29

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 04 - BOOK 04

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 68691813 04-073000 122 WELLS RD 1.000 S-P 5/8 1/01/2008 3/26/2008  ON
Serial: 68691813 MANUAL 1/01/2008

WATER 86011934 04-073100 124 WELLS RD 1.000 S 5/8" 1/31/2019  ON

MANUAL

WATER 73987934 04-073105 126 WELLS RD 1.000 S 5/8" 4/08/2014  ON
Serial: 73987934 MANUAL

WATER 80002782 04-073200 127 WELLS RD 1.000 s 5/8" 4/26/2016  ON
Serial: 80002782 MANUAL

WATER 80002785 04-073300 128 WELLS RD 1.000 s 5/8" 4/26/2016  ON
Serial: 80002785 MANUAL

WATER 80003481 04-073310 129 WELLS RD 1.000 S 5/8" 5/04/2016  ON
Serial: 80003481 MANUAL

WATER 80003477 04-073400 142 WELLS RD 1.000 S 5/8" 5/04/2016  ON
Serial: 80003477 MANUAL

WATER 80003479 04-073500 143 WELLS RD 1.000 S 5/8" 5/04/2016  ON
Serial: 80003479 MANUAL

WATER 80003476 04-073600 145 WELLS RD 1.000 S 5/8" 5/04/2016  ON
Serial: 80003476 MANUAL

WATER 68691980 04-073700 150 WELLS RD 1.000 S-P 5/8 1/01/2008 3/28/2008  ON
Serial: 68691980 MANUAL 1/01/2008

WATER 88239939 04-073800 101 ROBIN LN 1.000 s 5/8" 6/05/2020  ON
Serial: 88239939 MANUAL

WATER 88239840 04-073900 107 ROBIN LN 1.000 s 5/8" 10/20/2020  ON
Serial: 88239840 MANUAL

WATER 90301795 04-074000 111 ROBIN LN 1.000 S 5/8" 9/06/2022  ON
Serial: 90301795 MANUAL

WATER 84007926 04-074100 115 ROBIN LN 1.000 S 5/8" 2/14/2018  ON
Serial: 84007926 MANUAL

WATER 88239687 04-074200 119 ROBIN LN 1.000 S 5/8" 8/20/2020  ON
Serial: 88239687 MANUAL

WATER 88239684 04-074300 177 WELLS RD 1.000 S 5/8" 8/20/2020  ON
Serial: 88239684 MANUAL

WATER 88239829 04-074400 161 WELLS RD 1.000 S 5/8" 8/20/2020  OFF
Serial: 88239829 1.000 MANUAL

WATER 68691983 04-074500 169 WELLS RD 1.000 S-P 5/8 1/01/2008 3/28/2008  ON
Serial: 68691983 MANUAL 1/01/2008

WATER 80003480 04-074600 164 WELLS RD 1.000 S 5/8" 5/18/2016  ON
Serial: 80003480 MANUAL

WATER 88239685 04-074605 166 WELLS RD 1.000 S 5/8" 8/20/2020  ON
Serial: 88239685 MANUAL

WATER 80003171 04-074700 176 WELLS RD 1.000 S 5/8" 4/21/2016  ON
Serial: 80003171 MANUAL

WATER 88239830 04-074710 193 WELLS RD 1.000 S 5/8" 8/20/2020  ON
Serial: 88239830 MANUAL

WATER 68691905 04-074800 192 WELLS RD 1.000 R-P 5/8 1/01/2009 1/29/2009  ON
Serial: 68691905 MANUAL 1/01/2009

WATER 75618612 04-075000 5011 S AMHERST HWY 1.000 S 5/8" 5/19/2015 ON

Serial: 75618612 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 30
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 04 - BOOK 04
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 90301630 04-075300 5005 S AMHERST HIGHWAY 1.000 S 5/8" 3/23/2022 3/23/2022  ON
Serial: 90301630 MANUAL
WATER 88240092 04-075305 124 ARBOR CT 000 S 5/8" 8/20/2020  ON
Serial: 88240092 MANUAL
WATER 88239686 04-075400 125 ARBOR CT 000 s 5/8" 8/20/2020  ON
Serial: 88239686 MANUAL
WATER 88239683 04-075500 129 ARBOR CT .000 s 5/8" 8/20/2020  ON
Serial: 88239683 MANUAL
WATER 80003173 04-075900 4979 S AMHERST HWY .000 S 5/8" 4/21/2016  ON
Serial: 80003173 MANUAL
WATER 88239832 04-076300 109 LYTTLETON LN .000 S 5/8" 8/20/2020  ON
Serial: 88239832 MANUAL
WATER 80003156 04-076400 115 LYTTLETON LN 000 S 5/8" 4/21/2016  ON
Serial: 80003156 MANUAL
WATER 88240096 04-076410 125 LYTTLETON LN 000 S 5/8" 9/17/2020  ON
Serial: 88240096 MANUAL
WATER 73681760 04-076500 124 LYTTLETON LN 000 s 5/8" 10/09/2013  ON
Serial: 73681760 MANUAL
WATER 66213711 04-076600 136 LYTTLETON LN .000 s-P 5/8 1/01/2006 3/23/2006  OFF
Serial: 66213711 MANUAL 1/01/2006
WATER 68691895 04-076700 135 LYTTLETON LN .000 R-P 5/8 1/01/2009 1/29/2009  ON
Serial: 68691895 MANUAL 1/01/2009
WATER 80003157 04-076701 144 LYTTLETON LN .000 S 5/8" 4/21/2016  ON
Serial: 80003157 MANUAL
WATER 88240095 04-076702 145 LYTTLETON LN 000 S 5/8" 9/17/2020  ON
Serial: 88240095 MANUAL
WATER 82386764 04-076800 146 LYTTLETON LN 000 S 5/8" 7/07/2017  ON
Serial: 82386764 MANUAL
WATER 88240091 04-076900 151 LYTTLETON LN 000 s 5/8" 9/17/2020  ON
Serial: 88240091 MANUAL
WATER 88240093 04-076910 154 LYTTLETON LN .000 S 5/8" 9/17/2020  ON
Serial: 88240093 MANUAL
WATER 68691904 04-076912 157 LYTTLETON LN .000 R-P 5/8 1/01/2009 1/29/2009  ON
Serial: 68691904 MANUAL 1/01/2009
WATER 70171179 04-077000 160 LYTTLETON LN .000 R-P 5/8 1/01/2009 9/23/2009  ON
Serial: 70171179 MANUAL 1/01/2009
WATER 58575498 04-077005 165 LYTTLETON LN 000 S-P 5/8 1/01/2001 0/00/2000  ON
Serial: 58575498 MANUAL 1/01/2001
WATER 80003155 04-077015 168 LYTTLETON LN 000 S 5/8" 4/21/2016  ON
Serial: 80003155 MANUAL
WATER 58575500 04-077100 173 LYTTLETON LN 000 S-P 5/8 1/01/2001 0/00/2000  ON
Serial: 58575500 MANUAL 1/01/2001
WATER 88240082 04-077110 181 LYTTLETON LN .000 S 5/8" 9/17/2020  ON
Serial: 88240082 MANUAL
WATER 80003153 04-077200 189 LYTTLETON LN .000 S 5/8" 4/21/2016  ON
Serial: 80003153 MANUAL
WATER 58575499 04-077203 194 LYTTLETON LN .000 s-P 5/8 1/01/2001 0/00/2000  ON
Serial: 58575499 MANUAL 1/01/2001





2/11/2026 12:41 PM

DT PURCHSED:
DT INSTALL:
DT REPAIR:
DT TESTED:
BOOK:

0/00/0000 TO 99/99/9999
1/01/1900 TO 2/11/2026
0/00/0000 TO 99/99/9999
0/00/0000 TO 99/99/9999
04 - BOOK 04

- METER GROUP - METER NO# ACCOUNT NO#

————— SERVICE
--MXU ID--

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

80003154 04-077205
80003154

80003152 04-077300
80003152

80003168 04-077302
80003168

80003169 04-077305
80003169

82386602 04-077310
82386602

86011676 04-077311
86011676

86011683 04-077312
86011683

68691894 04-077400
68691894

54773399 04-077414
54773399

80003167 04-077415
80003167

58575516 04-077416
58575516

68691985 04-077420
68691985

80003165 04-077422
80003165

86011721 04-077425
86011721

80003198 04-077500
80003198

82386776 04-077508
82386776

82386774 04-077515
82386774

80003199 04-077520
80003199

60181482 04-077521
60181482

86011695 04-077523
86011695

51971447 04-077524
51971447

75618649 04-077526
75618649

82386325 04-077528
82386325

70171387 04-077529
70171387

198 LYTTLETON

201 LYTTLETON

209 LYTTLETON

206 LYTTLETON

214 LYTTLETON

230 LYTTLETON

217 LYTTLETON

229 LYTTLETON

231 LYTTLETON

236 LYTTLETON

237 LYTTLETON

244 LYTTLETON

247 LYTTLETON

253 LYTTLETON

252 LYTTLETON

265 LYTTLETON

262 LYTTLETON

268 LYTTLETON

289 RIDGE ST

269 LYTTLETON

115 WORLEY DR

123 WORLEY DR

128 WORLEY DR

130 WORLEY DR

METER REPORT PAGE :
SEQ :ACCOUNT
SIZE :All Sizes
MAKE :All Makes
ADDRESS ------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
LN 1.000 S 5/8" 4/21/2016  ON
MANUAL
LN 1.000 S 5/8" 4/21/2016  ON
MANUAL
LN 1.000 S 5/8" 4/21/2016  ON
MANUAL
LN 1.000 S 5/8" 4/21/2016 ON
MANUAL
LN 1.000 S 5/8" 7/07/2017  ON
MANUAL
LN 1.000 S 5/8" 10/03/2019 ON
MANUAL
LN 1.000 S 5/8" 10/03/2019  ON
MANUAL
LN 1.000 R-P 5/8 1/01/2009 1/29/2009  ON
MANUAL 1/01/2009
LN 1.000 R-P 5/8 1/01/1998 2/22/1999  ON
MANUAL 1/01/1998
LN 1.000 S 5/8" 4/21/2016 ON
MANUAL
LN 1.000 S-P 5/8 1/01/2001 0/00/2000 ON
MANUAL 1/01/2001
LN 1.000 S-P 5/8 1/01/2008 3/28/2008 ON
MANUAL 1/01/2008
LN 1.000 S 5/8" 4/21/2016  ON
MANUAL
LN 1.000 S 5/8" 2/14/2020  ON
MANUAL
LN 1.000 S 5/8" 4/28/2016  ON
MANUAL
LN 1.000 S 5/8" 8/23/2017  ON
MANUAL
LN 1.000 S 5/8" 8/23/2017  ON
MANUAL
LN 1.000 S 5/8" 4/28/2016 ON
MANUAL
1.000 S-P 5/8 1/01/2003 3/31/2003  ON
MANUAL
LN 1.000 S 5/8" 8/22/2019  ON
MANUAL
1.000 R-P 5/8 1/01/1996 10/28/1997  ON
MANUAL 1/01/1996
1.000 S 5/8" 12/10/2015 ON
MANUAL
1.000 S 5/8" 8/21/2017 ON
MANUAL
1.000 S-P 5/8 1/01/2009 6/10/2009 ON
MANUAL 1/01/2009





2/11/2026 12:41 PM METER REPORT PAGE : 32
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 04 - BOOK 04
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 66213754 04-077530 131 WORLEY DR 1.000 S-P 5/8 1/01/2006 3/23/2006  ON
Serial: 66213754 MANUAL 1/01/2006
WATER 90301502 04-077531 143 WORLEY DR 1.000 S 5/8" 12/07/2021  ON
Serial: 90301502 MANUAL
WATER 90301606 04-077532 140 WORLEY DR 1.000 S 5/8" 12/08/2021 10/05/2021  ON
Serial: 90301606 MANUAL 12/08/2021
WATER 63056576 04-077533 145 WORLEY DR 1.000 S-P 5/8" 1/01/2006 6/21/2006  ON
Serial: 63056576 MANUAL 1/01/2006
WATER 66213757 04-077534 152 WORLEY DR 1.000 S-P 5/8 1/01/2006 3/23/2006  ON
Serial: 66213757 MANUAL 1/01/2006
WATER 66213788 04-077540 159 WORLEY DR 1.000 S-P 5/8 1/01/2006 3/23/2006  ON
Serial: 66213788 MANUAL 1/01/2006
WATER 73987973 04-077541 156 WORLEY DR 1.000 S 5/8" 9/19/2013  ON
Serial: 73987973 MANUAL
WATER 68691965 04-077542 163 WORLEY DR 1.000 S-P 5/8 1/01/2008 3/28/2008  ON
Serial: 68691965 MANUAL 1/01/2008
WATER 80003196 04-077543 166 WORLEY DR 1.000 S 5/8" 4/28/2016  ON
Serial: 80003196 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 33

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 05 - BOOK 05

————— SERVICE ADDRESS ------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 100933509 05-090000 4953 S AMHERST HWY 1.000 S-IPRL 5/8" 1/22/2026  ON
Serial: 100933509 MANUAL

WATER 90301782 05-090108 4939 S AMHERST HWY 1.000 S 5/8" 6/03/2022 ON
Serial: 90301782 MANUAL

WATER 73988018 05-090205 113 RIDGE ST 1.000 S 5/8" 3/17/2015  ON
Serial: 73988018 MANUAL

WATER 73681850 05-090210 123 RIDGE ST 1.000 s 5/8" 1/24/2012 1/19/2012  ON
Serial: 73681850 MANUAL

WATER 80003195 05-090215 131 RIDGE ST 1.000 S 5/8" 4/28/2016  ON
Serial: 80003195 MANUAL

WATER 90301777 05-090300 150 RIDGE ST 1.000 s 5/8" 6/03/2022  ON
Serial: 90301777 MANUAL

WATER 67412738 05-090400 153 RIDGE ST 1.000 s-P 5/8 1/01/2007 3/02/2007 ON
Serial: 67412738 MANUAL 1/01/2007

WATER 68691731 05-090500 157 RIDGE ST 1.000 R-P 5/8 1/01/2009 1/29/2009  ON
Serial: 68691731 MANUAL 1/01/2009

WATER 96689012 05-090600 118 FORBES ST 1.000 S-IPRL 5/8" 10/10/2024 ON
Serial: 96689012 MANUAL

WATER 80002842 05-090700 115 FORBES ST 1.000 S 5/8" 8/23/2016 8/23/2016  ON
Serial: 80002842 MANUAL

WATER 73987801 05-090800 121 FORBES ST 1.000 S 5/8" 3/22/2013  ON
Serial: 73987801 MANUAL

WATER 82386296 05-090900 124 FORBES ST 1.000 S 5/8" 5/16/2017 ON
Serial: 82386296 MANUAL

WATER 96688963 05-091000 129 FORBES ST 1.000 S-IPRL 5/8" 2/27/2025  ON
Serial: 96688963 MANUAL

WATER 71031986 05-091100 126 FORBES ST 1.000 s-P 5/8 1/01/2010 3/19/2010 ON
Serial: 71031986 MANUAL 1/01/2010

WATER 66213671 05-091200 158 RIDGE ST 1.000 S 5/8" 10/25/2024 ON
Serial: 66213671 MANUAL

WATER 88239842 05-091300 163 RIDGE ST 1.000 S 5/8" 10/15/2020 ON
Serial: 88239842 MANUAL

WATER 73987994 05-091400 168 RIDGE ST 1.000 S 5/8" 3/22/2013 ON
Serial: 73987994 MANUAL

WATER 90301730 05-091500 169 RIDGE ST 1.000 S 5/8" 10/04/2022 ON
Serial: 90301730 MANUAL

WATER 68691891 05-091600 172 RIDGE ST 1.000 R-P 5/8 1/01/2009 1/29/2009 ON
Serial: 68691891 MANUAL 1/01/2009

WATER 54773339 05-091705 183 RIDGE ST 1.000 R-P 5/8 1/01/1998 2/22/1999  ON
Serial: 54773339 MANUAL 1/01/1998

WATER 90301729 05-091800 187 RIDGE ST 1.000 S 5/8" 10/04/2022 ON
Serial: 90301729 MANUAL

WATER 86011851 05-091900 197 RIDGE ST 1.000 S 5/8" 10/11/2019 ON
Serial: 86011851 MANUAL

WATER 84007932 05-091901 225 RIDGE ST 1.000 s 5/8" 3/11/2020  ON
Serial: 84007932 MANUAL

WATER 88239689 05-091902 215 RIDGE ST 1.000 S 5/8" 7/14/2020 ON

Serial: 88239689 MANUAL
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DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 05 - BOOK 05

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 88239873 05-091903 235 RIDGE ST 1.000 S 5/8" 8/25/2020  ON
Serial: 88239873 MANUAL

WATER 88239871 05-091904 243 RIDGE ST 1.000 S 5/8" 9/16/2020  ON
Serial: 99239871 MANUAL

WATER 88239872 05-091905 253 RIDGE ST 1.000 S 5/8" 10/09/2020  ON
Serial: 88239872 MANUAL

WATER 80003350 05-091910 265 RIDGE ST 1.000 S 5/8" 7/22/2021 ON
Serial: 80003350 MANUAL

WATER 88239757 05-091915 287 RIDGE ST 1.000 s 5/8" 4/28/2021  ON
Serial: 88239757 MANUAL

WATER 96688964 05-091920 208 RIDGE ST 1.000 S-IPRL 5/8" 2/27/2025 ON
Serial: 96688964 MANUAL

WATER 80003194 05-092000 216 RIDGE ST 1.000 S 5/8" 4/28/2016  ON
Serial: 80003194 MANUAL

WATER 66213820 05-092100 228 RIDGE ST 1.000 S-P 5/8 1/01/2006 3/28/2006  ON
Serial: 66213820 MANUAL 1/01/2006

WATER 58575515A 05-092200 236 RIDGE ST 1.000 S-P 5/8 1/01/2001 0/00/2000  ON
Serial: 58575515 MANUAL 1/01/2001

WATER 66213821 05-092300 242 RIDGE ST 1.000 S-P 5/8 1/01/2006 4/12/1991  ON
Serial: 66213821 MANUAL 1/01/2006

WATER 80003197 05-092400 254 RIDGE ST 1.000 S 5/8" 5/02/2016  OFF
Serial: 80003197 1.000 MANUAL

WATER 88239836 05-092500 256 RIDGE ST 1.000 S 5/8" 12/10/2020 ON
Serial: 88239836 MANUAL

WATER 80002849 05-092600 270 RIDGE ST 1.000 S 5/8" 4/25/2016  ON
Serial: 80002849 MANUAL

WATER 73987797 05-092700 272 RIDGE ST 1.000 S 5/8" 3/22/2013  ON
Serial: 73987797 MANUAL

WATER 80002846 05-092800 286 RIDGE ST 1.000 S 5/8" 4/26/2016  ON
Serial: 80002846 MANUAL

WATER 80002848 05-092900 288 RIDGE ST 1.000 S 5/8" 4/26/2016 ON
Serial: 80002848 MANUAL

WATER 68691749 05-092903 292 RIDGE ST 1.000 R-P 5/8 1/01/2008 4/30/2008  ON
Serial: 68691749 MANUAL 1/01/2008

WATER 80002796 05-092905 293 RIDGE ST 1.000 S 5/8" 4/26/2016 ON
Serial: 80002796 MANUAL

WATER 80002797 05-093000 121 SPRING ST 1.000 S 5/8" 4/26/2016  ON
Serial: 80002797 MANUAL

WATER 71031977 05-093100 112 SPRING ST 1.000 S-P 5/8 1/01/2010 3/19/2010  ON
Serial: 71031977 MANUAL 1/01/2010

WATER 80002792 05-093200 124 SPRING ST 1.000 S 5/8" 4/26/2016  ON
Serial: 80002792 MANUAL

WATER 50231685 05-093300 126 SPRING ST 1.000 R-P 5/8 1/01/1998 8/13/1992 ON
Serial: 50231685 MANUAL 1/01/1998

WATER 80002794 05-093310 128 SPRING ST 1.000 s 5/8" 4/26/2016  ON
Serial: 80002794 MANUAL

WATER 72853936 05-093315 132 SPRING ST 1.000 S 5/8" 3/22/2013 ON

Serial: 72853936 MANUAL
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DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 05 - BOOK 05

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 72853931 05-093320 136 SPRING ST 1.000 S 5/8" 3/22/2013  ON
Serial: 72853931 MANUAL

WATER 90301501 05-093400 139 SPRING ST 1.000 S 5/8" 10/06/2021  ON
Serial: 90301501 MANUAL

WATER 86011892 05-093500 4891 S AMHERST HWY 1.000 S 5/8" 12/17/2019  ON
Serial: 86011892 MANUAL

WATER 71031980 05-093600 4912 S AMHERST HWY 1.000 S-P 5/8 1/01/2010 3/19/2010 ON
Serial: 71031980 MANUAL 1/01/2010

WATER 68691748 05-093700 4910 S AMHERST HWY 1.000 R-P 5/8 1/01/2008 4/30/2008  ON
Serial: 68691748 MANUAL 1/01/2008

WATER 90304655 05-093810 4906 S AMHERST HWY 1.000 S 5/8" 10/04/2022 ON
Serial: 90301655 MANUAL

WATER 59295662 05-094000 4887 S AMHERST HWY 1.000 R-P 5/8 1/01/2002 6/06/2015  ON
Serial: 59295662 MANUAL 1/01/2002

WATER 59660677 05-094010 4889 S AMHERST HWY 1.000 R-P 5/8 1/01/2006 12/30/2000  ON
Serial: 59660677 MANUAL 1/01/2006

WATER 90301513 05-094700 4879 S AMHERST HWY 1.000 S 5/8" 10/06/2021  ON
Serial: 90301513 MANUAL

WATER 68691736 05-094710 4881 S AMHERST HWY 1.000 R-P 1/01/2009 5/15/2014  ON
Serial: 68691736 MANUAL 1/01/2009

WATER 67641513 05-094900 121 SEMINOLE DR 1.000 S-P 5/8 1/01/2008 6/10/2008  ON
Serial: 67641513 MANUAL 1/01/2008

WATER 67412814 05-095005 125 SEMINOLE DR D 1.000 S-P 5/8 1/01/2007 3/02/2007  OFF
Serial: 67412814 MANUAL 1/01/2007

WATER 67412811 05-095006 125 SEMINOLE DR C 1.000 S-P 5/8 1/01/2007 3/02/2007  OFF
Serial: 67412811 MANUAL 1/01/2007

WATER 67412809 05-095007 125 SEMINOLE DR A 1.000 S-P 5/8 1/01/2007 3/02/2007  OFF
Serial: 67412809 MANUAL 1/01/2007

WATER 67412813 05-095008 125 SEMINOLE DR B 1.000 S-P 5/8 1/01/2007 3/02/2007  ON
Serial: 67412813 MANUAL 1/01/2007

WATER 40164172 05-095010 125 SEMINOLE DR 1.000 R-P 1/01/1993 8/05/1993  OFF
Serial: 40164172 MANUAL 1/01/1993

WATER 66213744 05-095100 125 SEMINOLE DR 1.000 R-P 5/8 1/01/2006 4/25/2006  OFF
Serial: 66213744 MANUAL 1/01/2006

WATER 100933497 05-095110 130 SEMINOLE DR 1.000 S-IPRL  5/8" 10/09/2025  ON
Serial: 100933497 MANUAL

WATER 75618679 05-095200 144 SEMINOLE DR 1.000 S 5/8" 8/28/2014 8/28/2014  ON
Serial: 75618679 MANUAL

WATER 71458525 05-095300 149 SEMINOLE DR 1.000 S-P 1/01/2010 12/31/2013 ON
Serial: 71458525 MANUAL 1/01/2010

WATER 80002803 05-095308 148 SEMINOLE DR 1.000 S 5/8" 4/25/2016  ON
Serial: 80002803 MANUAL

WATER 73987926 05-095400 151 SEMINOLE DR 1.000 s 5/8" 4/04/2014  OFF
Serial: 73987926 1.000 MANUAL

WATER 90301572 05-095410 153 SEMINOLE DR 1.000 S 5/8" 3/01/2022  ON
Serial: 90301572 MANUAL

WATER 84008089 05-095500 154 SEMINOLE DR 1.000 S 5/8" 4/09/2018 ON

Serial: 84008089 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 36
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 05 - BOOK 05
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 90301489 05-095600 161 SEMINOLE DR 1.000 S 5/8" 8/14/2024  ON
Serial: 90301489 MANUAL
WATER 80002753 05-095615 165 SEMINOLE DR 1.000 S 5/8" 12/15/2016 12/15/2016  ON
Serial: 80002753 MANUAL
WATER 90301483 05-095800 173 SEMINOLE DR 1.000 S 5/8" 10/07/2021  ON
Serial: 90301483 MANUAL
WATER 80002802 05-095900 170 SEMINOLE DR 1.000 S 5/8" 4/25/2016 ON
Serial: 80002802 MANUAL
WATER 88239839 05-095905 190 SEMINOLE DR 1.000 S 5/8" 10/20/2020 ON
Serial: 88239839 MANUAL
WATER 56458043 05-096000 195 SEMINOLE DR 1.000 R-P 5/8 1/01/2000 2/27/2001  ON
Serial: 56458043 MANUAL 1/01/2000
WATER 80002801 05-096010 192 SEMINOLE DR 1.000 S 5/8" 4/25/2016  ON
Serial: 80002801 MANUAL
WATER 84008053 05-096100 198 SEMINOLE DR 1.000 S 5/8" 7/10/2018  ON
Serial: 84008053 MANUAL
WATER 86011677 05-096102 201 SEMINOLE DR 1.000 S 5/8" 10/22/2019  ON
Serial: 86011677 MANUAL
WATER 68691964 05-096110 206 SEMINOLE DR 1.000 R-P 5/8 1/01/2008 5/01/2008  ON
Serial: 68691964 MANUAL 1/01/2008
WATER 82386775 05-096200 207 SEMINOLE DR 1.000 S 5/8" 8/23/2017  ON
Serial: 82386775 MANUAL
WATER 72853837 05-096300 212 SEMINOLE DR 1.000 s 5/8" 11/09/2011  ON
Serial: 72853837 MANUAL
WATER 80002847 05-096315 128 PAMPLIN DR 1.000 S 5/8" 4/26/2016  ON
Serial: 80002847 MANUAL
WATER 84008031 05-096325 130 PAMPLIN DR 1.000 S 5/8" 10/11/2018  ON
Serial: 84008031 MANUAL
WATER 96688957 05-096330  134A PAMPLIN DR & 134B 1.000 S-IPRL  5/8" 1/29/2025  ON
Serial: 96688957 MANUAL
WATER 88239885 05-096400 215 SEMINOLE DR 1.000 S 5/8" 2/04/2021 ON
Serial: 88239885 MANUAL
WATER 80002799 05-096500 222 SEMINOLE DR 1.000 s 5/8" 4/25/2016  ON
Serial: 80002799 MANUAL
WATER 80002798 05-096600 221 SEMINOLE DR 1.000 s 5/8" 4/25/2016  ON
Serial: 80002798 MANUAL
WATER 80002851 05-096700 229 SEMINOLE DR 1.000 S 5/8" 4/25/2016  ON
Serial: 80002851 MANUAL
WATER 80002800 05-096710 234 SEMINOLE DR 1.000 S 5/8" 4/25/2016  ON
Serial: 80002800 MANUAL
WATER 80002850 05-096800 236 SEMINOLE DR 1.000 S 5/8" 4/25/2016  ON
Serial: 80002850 MANUAL
WATER 72854019 05-096802 242 SEMINOLE DR 1.000 S 5/8" 8/01/2025  ON
Serial: 72854019 MANUAL
WATER 73681847 05-096803 237 SEMINOLE DR 1.000 S 5/8" 1/24/2012 1/19/2012 ON
Serial: 73681847 MANUAL
WATER 75618699 05-096810 260 SEMINOLE DR 1.000 s 5/8" 4/25/2016  ON
Serial: 75618699 MANUAL
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DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 05 - BOOK 05

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 90301624 05-096900 262 SEMINOLE DR 1.000 S 5/8" 4/11/2024  ON
Serial: 90301624 MANUAL

WATER 80002867 05-096910 271 SEMINOLE DR 1.000 s 5/8" 5/02/2016  ON
Serial: 80002867 MANUAL

WATER 84007990 05-097000 275 SEMINOLE DR 1.000 S 5/8" 2/11/2019  ON

MANUAL

WATER 68691730 05-097100 270 SEMINOLE DR 1.000 R-P 5/8 1/01/2009 1/29/2009  OFF
Serial: 68691730 MANUAL 1/01/2009

WATER 80002866 05-097200 278 SEMINOLE DR 1.000 S 5/8" 5/02/2016  ON
Serial: 80002866 MANUAL

WATER 80002864 05-097300 289 SEMINOLE DR 1.000 S 5/8" 5/02/2016  ON
Serial: 80002864 MANUAL

WATER 80003133 05-097400 290 SEMINOLE DR 1.000 S 5/8" 5/02/2016  ON
Serial: 80003133 MANUAL

WATER 80003132 05-097420 295 SEMINOLE DR 1.000 s 5/8" 5/02/2016  ON
Serial: 80003132 MANUAL

WATER 84008030 05-097425 299 SEMINOLE DR 1.000 S 5/8" 10/11/2018  ON
Serial: 84008030 MANUAL

WATER 73681846 05-097430 302 SEMINOLE DR 1.000 S 5/8" 1/24/2012 1/19/2012 ON
Serial: 73681846 MANUAL

WATER 80003130 05-097500 305 SEMINOLE DR 1.000 S 5/8" 5/02/2016 ON
Serial: 80003130 MANUAL

WATER 80003128 05-097700 315 SEMINOLE DR 1.000 S 5/8" 5/02/2016  ON
Serial: 80003128 MANUAL

WATER 80003131 05-097800 316 SEMINOLE DR 1.000 S 5/8" 5/02/2016  OFF
Serial: 80003131 1.000 MANUAL

WATER 67412685 05-097900 317 SEMINOLE DR 1.000 S-P 5/8 1/01/2007 4/10/2007  ON
Serial: 67412685 MANUAL 1/01/2007

WATER 59660706 05-098000 325 SEMINOLE DR 1.000 S-P 5/8 1/01/2006 4/20/2002  ON
Serial: 59660706 MANUAL 1/01/2006

WATER 67641291 05-098001 122 WYNBROOKE PL 1.000 S-P 5/8 1/01/2007 11/28/2007  ON
Serial: 67641291 MANUAL 1/01/2007

WATER 86011669 05-098002 128 WYNBROOKE PL 1.000 S 5/8" 6/15/2020  ON
Serial: 86011669 MANUAL

WATER 70171505 05-098003 134 WYNBROOKE PL 1.000 S-P 5/8 1/01/2009 11/02/2009  ON
Serial: 70171505 MANUAL 1/01/2009

WATER 73987783 05-098004 142 WYNBROOKE PL 1.000 S 5/8" 8/05/2015  ON
Serial: 73987783 MANUAL

WATER 90301763 05-098005 148 WYNBROOKE PL 1.000 s 5/8" 4/22/2022  ON
Serial: 90301763 MANUAL

WATER 73681741 05-098006 152 WYNBROOKE PL 1.000 S 5/8" 5/01/2013  ON
Serial: 73681741 MANUAL

WATER 70171596 05-098007 156 WYNBROOKE PL 1.000 S-P 5/8 1/01/2009 7/22/2009  ON
Serial: 70171596 MANUAL

WATER 80002906 05-098008 164 WYNBROOKE PL 1.000 S 5/8" 6/13/2016  ON
Serial: 80002906 MANUAL

WATER 73987928 05-098009 168 WYNBROOKE PL 1.000 s 5/8" 11/27/2012  ON

Serial: 73987928 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 38
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DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 05 - BOOK 05
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- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 73681737 05-098010 174 WYNBOOKE PL 1.000 S 5/8" 5/08/2013  ON
Serial: 73681737 MANUAL

WATER 86011789 05-098011 176 WYNBROOKE PL 1.000 s 5/8" 8/08/2019  ON

MANUAL

WATER 82386535 05-098012 180 WYNBROOKE PL 1.000 S 5/8" 2/14/2019 2/14/2019  ON
Serial: 82386535 MANUAL

WATER 80003369 05-098013 186 WYNBROOKE PL 1.000 S 5/8" 11/19/2018 ON
Serial: 80003369 MANUAL

WATER 70171380 05-098014 192 WYNBROOKE PL 1.000 S-P 5/8 1/01/2009 8/25/2009  ON
Serial: 70171380 MANUAL 1/01/2009

WATER 70171211 05-098015 196 WYNBROOKE PL 1.000 S-P 5/8 1/01/2009 11/02/2009  ON
Serial: 70171211 MANUAL 1/01/2009

WATER 82386646 05-098016 202 WYNBROOKE PL 1.000 S 5/8" 3/11/2019 3/11/2019  ON
Serial: 82386646 MANUAL

WATER 84008079 05-098017 210 WYNBROOKE PL 1.000 s 5/8" 6/20/2018  ON
Serial: 84008079 MANUAL

WATER 84008039 05-098018 214 WYNBROOKE PL 1.000 S 5/8" 10/03/2018  ON
Serial: 84008039 MANUAL

WATER 82386860 05-098019 216 WYNBROOKE PL 1.000 S 5/8" 3/08/2018  ON
Serial: 82386860 MANUAL

WATER 82386861 05-098020 224 WYNBROOKE PL 1.000 S 5/8" 3/08/2018  ON
Serial: 82386861 MANUAL

WATER 82386863 05-098021 228 WYNBROOKE PL 1.000 S 5/8" 3/08/2018 ON
Serial: 82386863 MANUAL

WATER 70171379 05-098022 230 WYNBROOKE PL 1.000 S-P 5/8 1/01/2009 8/25/2009  ON
Serial: 70171379 MANUAL 1/01/2009

WATER 82386629 05-098023 229 WYNBROOKE PL 1.000 s 5/8" 9/12/2017  ON
Serial: 82386629 MANUAL

WATER 80003322 05-098024 227 WYNBROOKE PL 1.000 S 5/8" 2/22/2017  ON
Serial: 80003322 MANUAL

WATER 80002576 05-098025 221 WYNBROOKE PL 1.000 S 5/8" 8/22/2017  ON
Serial: 80002576 MANUAL

WATER 73681744 05-098026 219 WYNBROOKE PL 1.000 s 5/8" 11/27/2012  ON
Serial: 73681744 MANUAL

WATER 80003100 05-098027 211 WYNBROOKE PL 1.000 S 5/8" 8/22/2017  ON
Serial: 80003100 MANUAL

WATER 73987929 05-098028 209 WYNBROOKE PL 1.000 S 5/8" 11/27/2012  ON
Serial: 73987929 MANUAL

WATER 80002975 05-098029 203 WYNBROOKE PL 1.000 s 5/8" 4/05/2016  ON
Serial: 80002975 MANUAL

WATER 80002941 05-098030 193 WYNBROOKE PL 1.000 S 5/8" 12/21/2015  ON
Serial: 80002941 MANUAL

WATER 80002940 05-098031 179 WYNBROOKE PL 1.000 s 5/8" 12/21/2015  ON
Serial: 80002940 MANUAL

WATER 82386334 05-098032 167 WYNBROOKE PL 1.000 s 5/8" 7/25/2017  ON
Serial: 82386334 MANUAL

WATER 73988011 05-098033 157 WYNBROOKE PL 1.000 s 5/8" 1/13/2015  ON

Serial: 73988011 MANUAL
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WATER 75618705 05-098034 149 WYNBROOKE PL 1.000 S 5/8" 1/13/2015 ON
Serial: 75618705 MANUAL

WATER 90301458 05-098035 145 WYNBROOKE PL 1.000 s 5/8" 10/13/2023  ON
Serial: 90301458 MANUAL

WATER 70171381 05-098036 137 WYNBROOKE PL 1.000 S-P 5/8 1/01/2009 8/04/2009  ON
Serial: 70171381 MANUAL 1/01/2009

WATER 75618745 05-098037 131 WYNBROOKE PL 1.000 s 5/8" 12/11/2014  ON
Serial: 75618745 MANUAL

WATER 80002972 05-098038 127 WYNBROOKE PL 1.000 s 5/8" 4/05/2016  ON
Serial: 80002972 MANUAL

WATER 70171595 05-098039 121 WYNBROOKE PL 1.000 S-P 5/8 1/01/2009 7/22/2009  ON
Serial: 70171595 MANUAL 1/01/2009

WATER 66213912 05-098100 326 SEMINOLE DR 1.000 R-P 5/8 1/01/2006 4/26/2006  ON
Serial: 66213912 MANUAL 1/01/2006

WATER 72853935 05-098200 333 SEMINOLE DR 1.000 s 5/8" 3/22/2013  ON
Serial: 72853935 MANUAL

WATER 80003129 05-098300 336 SEMINOLE DR 1.000 S 5/8" 5/02/2016  ON
Serial: 8003129 MANUAL

WATER 90301485 05-098400 340 SEMINOLE DR 1.000 s 5/8" 10/07/2021  ON
Serial: 90301485 MANUAL

WATER 73987908 05-098500 339 SEMINOLE DR 1.000 S 5/8" 8/15/2014 ON
Serial: 73987908 MANUAL

WATER 58881616 05-098600 344 SEMINOLE DR 1.000 R-P 5/8 1/01/2001 0/00/2000  ON
Serial: 58881616 MANUAL 1/01/2001

WATER 80003193 05-098700 343 SEMINOLE DR 1.000 S 5/8" 5/02/2016  ON
Serial: 80003193 MANUAL

WATER 80003191 05-098800 348 SEMINOLE DR 1.000 s 5/8" 5/02/2016  ON
Serial: 80003191 MANUAL

WATER 80003189 05-098900 354 SEMINOLE DR 1.000 S 5/8" 5/02/2016  ON
Serial: 80003189 MANUAL

WATER 84007946 05-098901 358 SEMINOLE DR 1.000 s 5/8" 11/20/2019  ON
Serial: 84007946 MANUAL

WATER 84008075 05-098902 362 SEMINOLE DR 1.000 s 5/8" 11/20/2019  ON
Serial: 84008075 MANUAL

WATER 80003192 05-099000 349 SEMINOLE DR 1.000 S 5/8" 5/02/2016  ON
Serial: 80003192 MANUAL

WATER 66510697 05-099100 355 SEMINOLE DR 1.000 R-P 5/8 1/01/2006 5/10/2006  ON
Serial: 66510697 MANUAL 1/01/2006

WATER 68691908 05-099103 403 LAKEVIEW DR 1.000 R-P 5/8 1/01/2009 1/29/2009  ON
Serial: 68691908 MANUAL 1/01/2009

WATER 72853879 05-099104 397 LAKEVIEW DR 1.000 S 5/8" 3/22/2013  ON
Serial: 72853879 MANUAL

WATER 68691728 05-099105 398 LAKEVIEW DR 1.000 R-P 5/8 1/01/2009 1/29/2009  ON
Serial: 68691728 MANUAL 1/01/2009

WATER 72853932 05-099110 109 CLOVERDALE DR 1.000 S 5/8" 3/22/2013 ON
Serial: 72853932 MANUAL

WATER 80003190 05-099111 114 CLOVERDALE DR 1.000 S 5/8" 5/02/2016  ON

Serial: 80003190 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 40

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 05 - BOOK 05

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 68691907 05-099112 115 CLOVERDALE DR 1.000 R-P 5/8" 1/01/2009 1/29/2009  ON
Serial: 68691907 MANUAL 1/01/2009

WATER 72853934 05-099200 123 CLOVERDALE DR 1.000 s 5/8" 3/22/2013  ON
Serial: 72853934 MANUAL

WATER 80003188 05-099300 118 CLOVERDALE DR 1.000 S 5/8" 5/02/2016  ON
Serial: 80003188 MANUAL

WATER 80003210 05-099302 127 CLOVERDALE DR 1.000 S 5/8" 6/23/2016  ON
Serial: 80003210 MANUAL

WATER 80003180 05-099400 126 CLOVERDALE DR 1.000 S 5/8" 5/02/2016  ON
Serial: 80003108 MANUAL

WATER 72853878 05-099402 138 CLOVERDALE DR 1.000 S 5/8" 3/22/2013 ON
Serial: 72853878 MANUAL

WATER 80003177 05-099500 133 CLOVERDALE DR 1.000 S 5/8" 5/02/2016  ON
Serial: 80003177 MANUAL

WATER 90301678 05-099600 139 CLOVERDALE DR 1.000 s 5/8" 6/17/2021  ON
Serial: 90301678 MANUAL

WATER 84007969 05-099615 235 TRIPLE OAK CIR 102 1.000 S 5/8" 10/17/2018  ON
Serial: 84007969 MANUAL

WATER 84008088 05-099616 235 TRIPLE OAK CR 100 1.000 S 5/8" 4/09/2018 ON
Serial: 84008088 MANUAL

WATER 80003179 05-099700 215 TRIPLE OAK CIR 1.000 S 5/8" 5/02/2016  ON
Serial: 80003179 MANUAL

WATER 54773364 05-099800 209 TRIPLE OAK CIR 1.000 R-P 5/8 1/01/1998 2/24/1999  ON
Serial: 54773364 MANUAL 1/01/1998

WATER 80003176 05-099900 197 TRIPLE OAK CIR 1.000 s 5/8" 5/02/2016  ON
Serial: 80003176 MANUAL

WATER 71458514 05-099905 106 LONG PINE DR 1.000 s 5/8" 3/02/2011  ON
Serial: 71458514 MANUAL

WATER 82386777 05-100000 113 LONG PINE DR 1.000 S 5/8" 8/23/2017  ON
Serial: 82386777 MANUAL

WATER 90301677 05-100001 112 LONG PINE DR 1.000 S 5/8" 6/21/2021  ON
Serial: 90301677 MANUAL

WATER 90301662 05-100002 125 LONG PINE DR 1.000 S 5/8" 6/21/2021  ON
Serial: 90301662 MANUAL

WATER 80003178 05-100020 122 LONG PINE DR 1.000 S 5/8" 5/02/2016  ON
Serial: 80003178 MANUAL

WATER 90301661 05-100025 127 LONG PINE DR 1.000 s 5/8" 6/21/2021  ON
Serial: 90301661 MANUAL

WATER 90301657 05-100030 130 LONG PINE DR 1.000 s 5/8" 6/21/2021  ON
Serial: 90301657 MANUAL

WATER 80002950 05-100100 133 LONG PINE DR 1.000 S 5/8" 5/02/2016  ON
Serial: 80002950 MANUAL

WATER 80002948 05-100200 134 LONG PINE DR 1.000 S 5/8" 5/02/2016  ON
Serial: 80002948 MANUAL

WATER 82386406 05-100300 136 LONG PINE DR 1.000 S 5/8" 8/23/2017  ON
Serial: 82386406 MANUAL

WATER 90301658 05-100302 139 LONG PINE DR 1.000 S 5/8" 6/21/2021  ON

Serial: 90301658 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 41

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 05 - BOOK 05

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 90301659 05-100304 137 LONG PINE DR 1.000 s 5/8" 6/21/2021  ON
Serial: 90301659 MANUAL

WATER 90301660 05-100400 195 TRIPLE OAK CIR 1.000 s 5/8" 6/21/2021  ON
Serial: 90301660 MANUAL

WATER 80002809 05-100450 178 TRIPLE OAK CIR 1.000 S 5/8" 5/03/2016  ON
Serial: 80002809 MANUAL

WATER 80002808 05-100500 185 TRIPLE OAK CIR 1.000 S 5/8" 5/03/2016  ON
Serial: 80002808 MANUAL

WATER 82386405 05-100505 174 TRIPLE OAK CR 1.000 S 5/8" 8/23/2017  ON
Serial: 82386405 MANUAL

WATER 82386404 05-100600 171 TRIPLE OAK CR 1.000 S 5/8" 8/23/2017  ON
Serial: 82386404 MANUAL

WATER 72853852 05-100615 163 TRIPLE OAK CR 1.000 S 5/8" 3/22/2013  ON
Serial: 72853852 MANUAL

WATER 80002806 05-100700 158 TRIPLE OAK CR 1.000 s 5/8" 5/03/2016  ON
Serial: 80002806 MANUAL

WATER 82386402 05-100715 157 TRIPLE OAK CIR 1.000 S 5/8" 8/23/2017  ON
Serial: 82386402 MANUAL

WATER 100933515 05-100800 194 TRIPLE OAK CIR 1.000 S-IPRL  5/8" 11/06/2025  ON
Serial: 100933515 MANUAL

WATER 100933520 05-100801 196 TRIPLE OAK CIR 1.000 s 5/8" 11/07/2025  ON
Serial: 100933520 MANUAL

WATER 100933519 05-100802 198 TRIPLE OAK CIR 1.000 S-IPRL  5/8" 11/05/2025  ON
Serial: 100933519 MANUAL

WATER 67412810 05-100900 149 TRIPLE OAK CIR 1.000 S-P 5/8 1/01/2007 3/02/2007  ON
Serial: 67412810 MANUAL 1/01/2007

WATER 75618737 05-100901 108 MELVILLE PL 1.000 s 5/8" 5/03/2016  ON
Serial: 75618737 MANUAL

WATER 90301697 05-100902 124 MELVILLE PL 1.000 S 5/8" 6/21/2021  ON
Serial: 90301697 MANUAL

WATER 90301698 05-100903 121 MELVILLE PL 1.000 S 5/8" 6/21/2021  ON
Serial: 90301698 MANUAL

WATER 90301694 05-100906 131 MELVILLE PL 1.000 S 5/8" 6/21/2021  ON
Serial: 90301694 MANUAL

WATER 80002807 05-100907 132 MELVILLE PL 1.000 S 5/8" 5/03/2016  ON
Serial: 80002807 MANUAL

WATER 90301693 05-100908 133 MELVILLE PL 1.000 S 5/8" 6/21/2021  ON
Serial: 90301693 MANUAL

WATER 90301695 05-100910 136 MELVILLE PL 1.000 s 5/8" 6/21/2021  ON
Serial: 90301695 MANUAL

WATER 52407161 05-100911 141 MELVILLE PL 1.000 R-P 5/8 1/01/1998 0/00/2000  ON
Serial: 52407161 MANUAL 1/01/1998

WATER 90301696 05-100925 145 TRIPLE OAK CR 1.000 S 5/8" 6/21/2021  ON
Serial: 90301696 MANUAL

WATER 90301704 05-100926 137 TRIPLE OAK CR 1.000 S 5/8" 6/21/2021  ON
Serial: 90301704 MANUAL

WATER 90301703 05-101002 128 TRIPLE OAK CR 1.000 S 5/8" 6/21/2021  ON

Serial: 90301703 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 42

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 05 - BOOK 05

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 90301700 05-101004 129 TRIPLE OAK CR 1.000 S 5/8" 6/22/2021  ON
Serial: 90301700 MANUAL

WATER 82386403 05-101008 120 TRIPLE OAK CR 1.000 s 5/8" 8/23/2017  ON
Serial: 82386403 MANUAL

WATER 59660675 05-101009 123 TRIPLE OAK CIR 1.000 S-P 5/8 1/01/2006 12/30/2000  ON
Serial: 59660675 MANUAL 1/01/2006

WATER 80002810 05-101101 177 SEMINOLE DR 106 1.000 S 5/8" 6/01/2016  ON
Serial: 80002810 MANUAL

WATER 80002812 05-101102 177 SEMINOLE DR 105 1.000 S 5/8" 6/01/2016  ON
Serial: 80002812 MANUAL

WATER 80002907 05-101103 177 SEMINOLE DR 104 1.000 S 5/8" 6/01/2016  ON
Serial: 80002907 MANUAL

WATER 80002813 05-101104 177 SEMINOLE DR 103 1.000 s 5/8" 6/01/2016  ON
Serial: 80002813 MANUAL

WATER 80002814 05-101105 177 SEMINOLE DR 102 1.000 S 5/8" 6/01/2016  ON
Serial: 80002814 MANUAL

WATER 80002811 05-101106 177 SEMINOLE DR 101 1.000 S 5/8" 6/01/2016  ON
Serial: 80002811 MANUAL

WATER 90301699 05-102500 130 MAYS ST 1.000 S 5/8" 6/22/2021 ON
Serial: 90301699 MANUAL

WATER 59011114 05-103000 145 MAYS ST 1.000 s-P 5/8 1/01/2002 0/00/2000  ON
Serial: 59011114 MANUAL 1/01/2002

WATER 68691903 05-103100 146 MAYS ST 1.000 R-P 5/8 1/01/2009 1/29/2009 ON
Serial: 68691903 MANUAL 1/01/2009

WATER 67641543 05-103200 154 MAYS ST 1.000 R-P 5/8 1/01/2009 1/29/2009  ON
Serial: 67641543 MANUAL 1/01/2009

WATER 82386407 05-103300 161 MAYS ST 1.000 S 5/8" 8/23/2017  ON
Serial: 82386407 MANUAL

WATER 71032002 05-103400 160 MAYS ST 1.000 S-P 5/8 1/01/2010 3/08/2010  ON
Serial: 71032002 MANUAL 1/01/2010

WATER 90301734 05-103500 171 MAYS ST 1.000 s 5/8" 9/14/2022  ON
Serial: 90301734 MANUAL

WATER 80003502 05-103600 172 MAYS ST 1.000 S 5/8" 6/01/2016 ON
Serial: 80003502 MANUAL

WATER 68691773 05-103700 168 MAYS ST 1.000 R-P 5/8 1/01/2009 1/30/2009 ON
Serial: 68691773 MANUAL 1/01/2009

WATER 71032005 05-103800 174 MAYS ST 1.000 S-P 5/8 1/01/2010 3/08/2010  ON
Serial: 71032005 MANUAL 1/01/2010

WATER 90301701 05-103900 111 WILLOW LN 1.000 s 5/8" 6/22/2021  ON
Serial: 90301701 MANUAL

WATER 80002724 05-104000 110 WILLOW LN 1.000 S 5/8" 6/01/2016  ON
Serial: 80002724 MANUAL

WATER 90301702 05-104100 119 WILLOW LN 1.000 S 5/8" 6/22/2021  ON
Serial: 90301702 MANUAL

WATER 90301757 05-104200 120 WILLOW LN 1.000 S 5/8" 6/22/2021  ON
Serial: 90301757 MANUAL

WATER 68691770 05-104300 178 MAYS ST 1.000 R-P 5/8 1/01/2009 1/30/2009 ON

Serial: 68691770 MANUAL 1/01/2009





2/11/2026 12:41 PM METER REPORT PAGE : 43
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 05 - BOOK 05
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
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2/11/2026 12:41 PM METER REPORT PAGE : 44
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 05 - BOOK 05
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 66510770 05-114501 139 VIARS RD 1.000 R-P 5/8 1/01/2006 5/18/2006  ON
Serial: 66510770 MANUAL 1/01/2006
WATER 66510771 05-114503 134 VIARS RD 1.000 R-P 5/8 1/01/2006 5/18/2006  ON
Serial: 66510771 MANUAL 1/01/2006
WATER 66510772 05-114504 138 VIARS RD 1.000 R-P 5/8 1/01/2006 5/18/2006  ON
Serial: 66510772 MANUAL 1/01/2006
WATER 68691751 05-114505 140 VIARS RD 1.000 R-P 5/8 1/01/2008 4/30/2008  ON
Serial: 68691751 MANUAL 1/01/2008
WATER 72853877 05-114518 901 WRIGHT SHOP RD 1.000 S 5/8" 3/22/2013 ON
Serial: 72853877 MANUAL

WATER 82386434 05-114600 880 WRIGHT SHOP RD 1.000 S 5/8" 8/24/2017  ON
Serial: 82386434 MANUAL

WATER 82386851 05-114700 883 WRIGHT SHOP RD 1.000 S 5/8" 8/22/2017  ON
Serial: 82386851 MANUAL

WATER 82386850 05-114800 861 WRIGHT SHOP RD 1.000 s 5/8" 8/22/2017  ON
Serial: 82386850 MANUAL

WATER 90301778 05-114900 115 FLOWERS CT 1.000 S 5/8" 6/02/2022  ON
Serial: 90301778 MANUAL

WATER 82386847 05-115000 857 WRIGHT SHOP RD 1.000 S 5/8" 8/22/2017  ON
Serial: 82386847 MANUAL

WATER 86011694 05-115090 112 FLOWERS CT 1.000 S 5/8" 8/22/2019  ON
Serial: 86011694 MANUAL

WATER 90301593 05-115100 110 FLOWERS CT 1.000 s 5/8" 7/08/2024  ON

MANUAL

WATER 80003215 05-115205 851 WRIGHT SHOP RD 1.000 S 5/8" 5/31/2016  ON
Serial: 80003215 MANUAL

WATER 70171323 05-115300 839 WRIGHT SHOP RD 1.000 R-P 5/8 1/01/2009 9/30/2009  ON
Serial: 70171323 MANUAL 1/01/2009

WATER 66510746 05-115310 122 CREEK HILL RD 1.000 R-P 5/8 1/01/2006 5/23/2006  ON
Serial: 66510746 MANUAL 1/01/2006

WATER 80003213 05-115400 108 CREEK HILL RD 1.000 S 5/8" 5/31/2016  OFF
Serial: 80003213 1.000 MANUAL

WATER 66510747 05-115415 131 CREEK HILL RD 1.000 R-P 5/8 1/01/2006 5/23/2006  OFF
Serial: 66510747 MANUAL 1/01/2006

WATER 96689063 05-115500 834 WRIGHT SHOP RD 1.000 S 5/8" 10/03/2024 OFF
Serial: 96689063 1.000 MANUAL

WATER 72853850 05-115600 117 CREEK HILL RD 1.000 s 5/8" 3/22/2013  ON
Serial: 72853850 MANUAL

WATER 66510748 05-115605 809 WRIGHT SHOP RD 200 1.000 R-P 5/8 1/01/2006 5/23/2006  ON
Serial: 66510748 MANUAL 1/01/2006

WATER 66510749 05-115606 809 WRIGHT SHOP RD 202 1.000 S-P 1/01/2007 5/23/2006  ON
Serial: 66510749 MANUAL 1/01/2007

WATER 71032006 05-115607 809 WRIGHT SHOP RD 100 1.000 s-P 5/8 1/01/2010 3/08/2010  ON
Serial: 71032006 MANUAL 1/01/2010

WATER 67412767 05-115608 809 WRIGHT SHOP RD 102 1.000 S-P 5/8 1/01/2007 3/02/2007  ON
Serial: 67412767 MANUAL 1/01/2007

WATER 68691771 05-115700 824 WRIGHT SHOP RD 1.000 R-P 5/8 1/01/2009 1/30/2009  ON
Serial: 68691771 MANUAL 1/01/2009





2/11/2026 12:41 PM METER REPORT PAGE : 45

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 05 - BOOK 05

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 73987943 05-115800 650 OLD WRIGHT SHOP RD 1.000 S 5/8" 7/22/2014 7/22/2014  ON
Serial: 73987943 MANUAL

WATER 66510750 05-115900 653 OLD WRIGHT SHOP RD 1.000 R-P 5/8 1/01/2006 5/24/2006  ON
Serial: 66510750 MANUAL 1/01/2006

WATER 66510727 05-116000 647 OLD WRIGHT SHOP RD 1.000 B-P 5/8 1/01/2006 5/24/2006  ON
Serial: 66510727 MANUAL 1/01/2006

WATER 66510728 05-116005 645 OLD WRIGHT SHOP RD 1.000 R-P 5/8 1/01/2006 5/24/2006  ON
Serial: 66510728 MANUAL 1/01/2006

WATER 54773278 05-116100 642 OLD WRIGHT SHOP RD 1.000 R-P 5/8 1/01/1998 2/25/1999  ON
Serial: 54773278 MANUAL 1/01/1998

WATER 66510729 05-116110 639 OLD WRIGHT SHOP RD 1.000 S-P 5/8 1/01/2006 5/24/2006  ON
Serial: 66510729 MANUAL 1/01/2006

WATER 66510730 05-116200 637 OLD WRIGHT SHOP RD 1.000 s-P 5/8 1/01/2006 5/24/2006  ON

Serial: 66510730 MANUAL 1/01/2006





2/11/2026 12:41 PM METER REPORT PAGE : 46

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 06 - BOOK 06

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 73987891 06-116205 117 POMONA DR 1.000 S 5/8" 3/02/2012  ON
Serial: 73987891 MANUAL

WATER 73681806 06-116300 124 POMONA DR 1.000 S 5/8" 10/09/2013  ON
Serial: 73681806 MANUAL

WATER 80002725 06-116310 131 POMONA DR 1.000 S 5/8" 5/31/2016  ON
Serial: 80002725 MANUAL

WATER 80002721 06-116350 132 POMONA DR 1.000 S 5/8" 6/01/2016  OFF
Serial: 80002721 1.000 MANUAL

WATER 80002722 06-116500 156 POMONA DR 1.000 S 5/8" 5/31/2016  ON
Serial: 80002722 MANUAL

WATER 80002772 06-116600 131 OAK LEAF DR 1.000 S 5/8" 5/31/2016  ON
Serial: 80002772 MANUAL

WATER 66510731 06-116700 170 POMONA DR 1.000 R-P 5/8 1/01/2006 5/25/2006  ON
Serial: 66510731 MANUAL 1/01/2006

WATER 72853793 06-116800 173 POMONA DR 1.000 S 5/8" 9/25/2013  ON
Serial: 72853793 MANUAL

WATER 80002723 06-116900 181 POMONA DR 1.000 S 5/8" 5/31/2016  ON
Serial: 80002723 MANUAL

WATER 54578704 06-117000 178 POMONA DR 1.000 R-P 5/8 1/01/2004 0/00/2000  ON
Serial: 54578704 MANUAL 1/01/2004

WATER 56458058 06-117001 188 POMONA DR 1.000 S-P 5/8 1/01/1999 12/12/2000  ON
Serial: 56458058 MANUAL

WATER 66510732 06-117002 193 POMONA DR 1.000 R-P 5/8 1/01/2006 5/25/2006  ON
Serial: 66510732 MANUAL 1/01/2006

WATER 80002720 06-117005 196 POMONA DR 1.000 S 5/8" 5/31/2016  ON
Serial: 80002720 MANUAL

WATER 88240094 06-117006 201 POMONA DR 1.000 S 5/8" 9/17/2020  ON
Serial: 88240094 MANUAL

WATER 88240083 06-117008 207 POMONA DR 1.000 S 5/8" 9/17/2020  ON
Serial: 88240083 MANUAL

WATER 66510733 06-117010 215 POMONA DR 1.000 R-P 5/8 1/01/2006 5/25/2006  ON
Serial: 66510733 MANUAL 1/01/2006

WATER 80003229 06-117200 620 OLD WRIGHT SHOP RD 1.000 S 5/8" 5/31/2016  ON
Serial: 80003229 MANUAL

WATER 82386849 06-117300 621 OLD WRIGHT SHOP RD 1.000 S 5/8" 8/22/2017  ON
Serial: 82386849 MANUAL

WATER 63056516 06-117301 619 OLD WRIGHT SHOP RD 1.000 S-P 5/8 1/01/2006 3/22/2006  ON
Serial: 63056516 MANUAL 1/01/2006

WATER 72853794 06-117303 105 OAK LEAF DR 1.000 s 5/8" 9/25/2013  OFF
Serial: 72853794 1.000 MANUAL

WATER 80002773 06-117304 111 OAK LEAF DR 1.000 S 5/8" 5/31/2016  ON
Serial: 80002773 MANUAL

WATER 82386485 06-117305 119 OAK LEAF DR 1.000 S 5/8" 8/22/2017  ON
Serial: 82386485 MANUAL

WATER 67641509 06-117310 132 OAK LEAF DR 1.000 S-P 5/8 1/01/2008 3/24/2008  ON
Serial: 67641509 MANUAL 1/01/2008

WATER 90301707 06-117400 104 OAK LEAF DR 1.000 s 5/8" 2/09/2023  ON

Serial: 90301707 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 47
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 06 - BOOK 06
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 80002771 06-117500 611 OLD WRIGHT SHOP RD 1.000 S 5/8" 5/31/2016  ON
Serial: 80002771 MANUAL
WATER 66510734 06-117600 596 OLD WRIGHT SHOP RD 1.000 R-P 5/8 1/01/2006 5/25/2006  ON
Serial: 66510734 MANUAL 1/01/2006
WATER 66510735 06-117605 591 OLD WRIGHT SHOP RD 1.000 R-P 5/8 1/01/2006 5/25/2006  ON
Serial: 66510735 MANUAL 1/01/2006
WATER 58881649 06-117610 592 OLD WRIGHT SHOP RD 1.000 S-P 5/8 1/01/2001 0/00/2000  ON
Serial: 58881649 MANUAL 1/01/2001
WATER 73987890 06-117700 588 OLD WRIGHT SHOP RD 1.000 S 5/8" 3/02/2012 ON
Serial: 73987890 MANUAL
WATER 67641512 06-117710 586 OLD WRIGHT SHOP RD 1.000 S-P 5/8 1/01/2008 3/24/2008  ON
Serial: 67641512 MANUAL 1/01/2008
WATER 72853795 06-117800 585 OLD WRIGHT SHOP RD 1.000 S 5/8" 9/25/2013  ON
Serial: 72853795 MANUAL
WATER 66510736 06-117810 580 OLD WRIGHT SHOP RD 1.000 R-P 5/8 1/01/2006 5/25/2006  ON
Serial: 66510736 MANUAL 1/01/2006
WATER 71032001 06-117812 581 OLD WRIGHT SHOP RD 1.000 S-P 5/8 1/01/2010 3/08/2010  ON
Serial: 71032001 MANUAL 1/01/2010
WATER 71458497 06-117813 577 OLD WRIGHT SHOP RD 1.000 S 5/8" 3/25/2011  ON
Serial: 71458497 MANUAL
WATER 73987889 06-117814 114 LILYDALE LN 1.000 S 5/8" 3/02/2012 ON
Serial: 73987889 MANUAL
WATER 72853796 06-117815 120 LILYDALE LN 1.000 S 5/8" 9/25/2013  ON
Serial: 72853796 MANUAL
WATER 54773422 06-117816 124 LILYDALE LN 1.000 S-P 5/8 1/01/1998 8/04/1999  ON
Serial: 54773422 MANUAL 1/01/1998
WATER 73987922 06-117817 126 LILYDALE LN 1.000 s 5/8" 5/27/2014  ON
Serial: 73987922 MANUAL
WATER 73987966 06-117818 128 LILYDALE LN 1.000 S 5/8" 9/25/2013  ON
Serial: 73987966 MANUAL
WATER 75618782 06-117820 132 LILYDALE LN 1.000 S 5/8" 5/28/2014  ON
Serial: 75618782 MANUAL
WATER 73987827 06-117822 135 LILYDALE LN 1.000 S 5/8" 3/02/2012 ON
Serial: 73987827 MANUAL
WATER 75618783 06-117823 133 LILYDALE LN 1.000 S 5/8" 5/27/2014  ON
Serial: 75618783 MANUAL
WATER 75618779 06-117824 131 LILYDALE LN 1.000 S 5/8" 5/27/2014  ON
Serial: 75618779 MANUAL
WATER 73987968 06-117825 129 LILYDALE LN 1.000 s 5/8" 9/19/2013  ON
Serial: 73987968 MANUAL
WATER 73987965 06-117826 127 LILYDALE LN 1.000 S 5/8" 9/19/2013  ON
Serial: 73987965 MANUAL
WATER 73987828 06-117827 125 LILYDALE LN 1.000 S 5/8" 3/02/2012  ON
Serial: 73987828 MANUAL
WATER 73987886 06-117828 123 LILYDALE LN 1.000 S 5/8" 3/02/2012 ON
Serial: 73987886 MANUAL
WATER 90301442 06-117829 121 LILYDALE LN 1.000 S 5/8" 9/24/2021  ON

MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 48
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 06 - BOOK 06
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 66510737 06-117895 578 OLD WRIGHT SHOP RD 1.000 R-P 5/8 1/01/2006 5/25/2006  ON
Serial: 66510737 MANUAL 1/01/2006
WATER 66510738 06-117900 570 OLD WRIGHT SHOP RD 1.000 R-P 5/8 1/01/2006 5/25/2006  ON
Serial: 66510738 MANUAL 1/01/2006
WATER 80002768 06-118000 560 OLD WRIGHT SHOP RD 1.000 S 5/8" 5/31/2016  ON
Serial: 80002768 MANUAL

WATER 80002769 06-118100 559 OLD WRIGHT SHOP RD 1.000 S 5/8" 5/31/2016  ON
Serial: 80002769 MANUAL

WATER 71458493 06-118101 555 OLD WRIGHT SHOP RD 1.000 S 5/8" 3/25/2011  ON
Serial: 71458493 MANUAL

WATER 71458496 06-118102 549 OLD WRIGHT SHOP RD 1.000 S 5/8" 3/25/2011  ON
Serial: 71458496 MANUAL

WATER 80003217 06-118200 554 OLD WRIGHT SHOP RD 1.000 S 5/8" 6/01/2016  ON
Serial: 80003217 MANUAL

WATER 80002953 06-118300 544 OLD WRIGHT SHOP RD 1.000 s 5/8" 6/01/2016  ON
Serial: 80002953 MANUAL

WATER 73987937 06-118400 536 OLD WRIGHT SHOP RD 1.000 S 5/8" 4/29/2014  ON
Serial: 43987937 MANUAL

WATER 71032004 06-118500 535 OLD WRIGHT SHOP RD 1.000 S 5/8" 5/25/2010  OFF
Serial: 71032004 1.000 MANUAL

WATER 80002951 06-118600 533 OLD WRIGHT SHOP ROAD 1.000 S 5/8" 6/01/2016  ON
Serial: 80002951 MANUAL

WATER 80002952 06-118700 108 N HILLCREST DR 1.000 S 5/8" 5/31/2016  ON
Serial: 80002952 MANUAL

WATER 96689054 06-118800 113 N HILLCREST DR 1.000 S-IPRL 5/8" 4/02/2025  ON
Serial: 96689054 MANUAL

WATER 66510763 06-118805 122 N HILLCREST DR 1.000 R-P 5/8 1/01/2006 5/25/2006  ON
Serial: 66510763 MANUAL 1/01/2006

WATER 80003366 06-118810 121 N HILLCREST DR 1.000 S 5/8" 2/09/2017  ON
Serial: 80003366 MANUAL

WATER 67641510 06-118900 127 N HILLCREST DR 1.000 S-P 5/8 1/01/2008 3/24/2008  ON
Serial: 67641510 MANUAL 1/01/2008

WATER 67641505 06-119000 133 N HILLCREST DR 1.000 S-P 5/8 1/01/2008 3/24/2008  ON
Serial: 67641505 MANUAL 1/01/2008

WATER 80002923 06-119005 141 N HILLCREST DR 1.000 S 5/8" 5/31/2016  ON
Serial: 80002923 MANUAL

WATER 72853797 06-119100 158 N HILLCREST DR 1.000 S 5/8" 9/25/2013  ON
Serial: 72853797 MANUAL

WATER 54773275 06-119110 162 N HILLCREST DR 1.000 R-P 1/01/1998 2/24/1999  ON
Serial: 54773275 MANUAL 1/01/1998

WATER 80002920 06-119200 168 N HILLCREST DR 1.000 S 5/8" 5/31/2016  OFF
Serial: 80002920 1.000 MANUAL

WATER 66510764 06-119202 107 HIGHLAND CR 1.000 R-P 5/8 1/01/2006 5/25/2006  ON
Serial: 66510764 MANUAL 1/01/2006

WATER 68691803 06-119210 118 HIGHLAND CIR 1.000 R-P 5/8 1/01/2009 1/30/2009  ON
Serial: 68691803 MANUAL 1/01/2009

WATER 66510765 06-119212 124 HIGHLAND CR 1.000 R-P 5/8 1/01/2006 5/25/2006  ON
Serial: 66510765 MANUAL 1/01/2006





2/11/2026 12:41 PM METER REPORT PAGE : 49

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 06 - BOOK 06

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 66510766 06-119219 156 HIGHLAND CIR 1.000 R-P 5/8 1/01/2006 5/25/2006  ON
Serial: 66510766 MANUAL 1/01/2006

WATER 70171594 06-119221 169 HIGHLAND CIR 1.000 S-P 5/8 1/01/2009 12/30/2000  ON
Serial: 70171594 MANUAL 1/01/2009

WATER 73987933 06-119222 161 HIGHLAND CR 1.000 S 5/8" 11/27/2012  ON
Serial: 73987933 MANUAL

WATER 67641506 06-119223 134 HIGHLAND CR 1.000 S-P 5/8 1/01/2008 3/24/2008  ON
Serial: 67641506 MANUAL 1/01/2008

WATER 73681757 06-119226 597 WRIGHT SHOP RD 1.000 S 5/8" 9/25/2013  ON
Serial: 73681757 MANUAL

WATER 82386484 06-119235 577 WRIGHT SHOP RD 1.000 S 5/8" 8/22/2017  ON
Serial: 82386484 MANUAL

WATER 66510767 06-119236 121 PENN LN 1.000 R-P 5/8 1/01/2006 5/25/2006  ON
Serial: 66510767 MANUAL 1/01/2006

WATER 80002921 06-119238 125 PENN LN 1.000 S 5/8" 5/31/2016  ON
Serial: 80002921 MANUAL

WATER 66510768 06-119240 141 PENN LN 1.000 S-P 5/8 1/01/2006 5/25/2006  ON
Serial: 66510768 MANUAL 1/01/2006

WATER 59660672 06-119242 149 PENN LN 1.000 R-P 5/8 1/01/2000 0/00/2000  ON
Serial: 59660672 MANUAL 1/01/2000

WATER 68691990 06-119243 171 PENN LN 1.000 R-P 5/8 1/01/2009 1/30/2009  ON
Serial: 68691990 MANUAL 1/01/2009

WATER 73987888 06-119245 164 PENN LN 1.000 S 5/8" 3/02/2012 ON
Serial: 73987888 MANUAL

WATER 71458492 06-119246 177 PENN LN 1.000 s 5/8" 3/25/2011  ON
Serial: 71458492 MANUAL

WATER 73681756 06-119247 175 PENN LN 1.000 S 5/8" 9/25/2013  ON
Serial: 73681756 MANUAL

WATER 82386480 06-119250 171 N HILLCREST DR 1.000 S 5/8" 8/22/2017  ON
Serial: 82386480 MANUAL

WATER 80002919 06-119300 170 N HILLCREST DR 1.000 S 5/8" 5/31/2016  ON
Serial: 80002919 MANUAL

WATER 80003504 06-119400 676 NEW WRIGHT SHOP RD 1.000 S 5/8" 5/31/2016  ON
Serial: 80003504 MANUAL

WATER 66510685 06-119500 673 NEW WRIGHT SHOP RD 1.000 R-P 5/8 1/01/2006 5/25/2006  ON
Serial: 66510685 MANUAL 1/01/2006

WATER 73987775 06-119600 683 NEW WRIGHT SHOP RD 1.000 S 5/8" 4/18/2012 4/18/2012  ON
Serial: 73987775 MANUAL

WATER 75618658 06-119700 687 WRIGHT SHOP RD 1.000 s 5/8" 6/01/2016  ON
Serial: 75618658 MANUAL

WATER 80003500 06-119800 680 WRIGHT SHOP RD 1.000 S 5/8" 5/31/2016  ON
Serial: 80003500 MANUAL

WATER 80003186 06-119815 703 WRIGHT SHOP RD 1.000 S 5/8" 6/01/2016  ON
Serial: 80003186 MANUAL

WATER 75618604 06-119820 715 WRIGHT SHOP ROAD 1.000 S 5/8" 3/24/2015  ON
Serial: 75618604 MANUAL

WATER 75618581 06-119859 724 WRIGHT SHOP RD 1.000 S 5/8" 3/17/2015  ON

Serial: 75618581 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 50

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 06 - BOOK 06

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 82386481 06-119860 726 WRIGHT SHOP RD 1.000 S 5/8" 8/22/2017  OFF
Serial: 82386481 1.000 MANUAL

WATER 75618607 06-119861 732 WRIGHT SHOP RD 1.000 s 5/8" 3/17/2015  ON
Serial: 75618607 MANUAL

WATER 90301739 06-119862 730 WRIGHT SHOP RD 1.000 S 5/8" 8/30/2022  ON
Serial: 90301739 MANUAL

WATER 88239736 06-119902 744 WRIGHT SHOP ROAD 1.000 S 5/8" 9/17/2020  ON
Serial: 88239736 MANUAL

WATER 88239732 06-119903 742 WRIGHT SHOP RD 1.000 S 5/8" 9/17/2020  ON
Serial: 88239732 MANUAL

WATER 82386483 06-119908 112 PINECREST DR 1.000 S 5/8" 8/23/2017  ON
Serial: 82386483 MANUAL

WATER 80003187 06-119915 120 PINECREST DR 1.000 S 5/8" 5/31/2016  ON
Serial: 80003187 MANUAL

WATER 82386482 06-120000 130 PINECREST DR 1.000 s 5/8" 8/23/2017  ON
Serial: 82386482 MANUAL

WATER 66510686 06-120100 140 PINECREST DR 1.000 R-P 5/8 1/01/2006 5/25/2006  ON
Serial: 66510686 MANUAL 1/01/2006

WATER 100933498 06-120200 139 PINECREST DR 1.000 S-IPRL  5/8" 8/14/2025  ON
Serial: 100933498 MANUAL

WATER 52407205 06-120300 150 PINECREST DR 1.000 S-P 5/8 1/01/2010 0/00/2000  ON
Serial: 52407205 MANUAL

WATER 82386330 06-120303 157 PINECREST DR 1.000 s 5/8" 7/25/2017  ON
Serial: 82386330 MANUAL

WATER 80003184 06-120320 116 POPLAR DR 1.000 S 5/8" 6/01/2016  ON
Serial: 80003184 MANUAL

WATER 70171438 06-120321 122 POPLAR DR 1.000 S-P 5/8 1/01/2009 2/19/2009  ON
Serial: 70171438 MANUAL 1/01/2009

WATER 73987960 06-120322 132 POPLAR DR 1.000 S 5/8" 9/25/2013  ON
Serial: 73987960 MANUAL

WATER 80003183 06-120350 136 POPLAR DR 1.000 S 5/8" 6/01/2016  ON
Serial: 80003183 MANUAL

WATER 82386778 06-120378 168 POPLAR DR 1.000 S 5/8" 8/23/2017  ON
Serial: 82386778 MANUAL

WATER 56458134 06-120380 178 POPLAR DR 1.000 R-P 5/8 1/01/2000 3/28/2001  ON
Serial: 56458134 MANUAL 1/01/2000

WATER 88239765 06-120390 171 PINECREST DR 1.000 S 5/8" 10/09/2020  ON
Serial: 88239765 MANUAL

WATER 54773334 06-120395 160 PINECREST DR 1.000 S-P 5/8 1/01/1998 3/30/1999  ON
Serial: 54773334 MANUAL

WATER 80003182 06-120411 121 POPLAR DR 1.000 S 5/8" 6/01/2016  OFF
Serial: 80003182 1.000 MANUAL

WATER 90301525 06-120415 163 WILDWOOD ACRES RD 1.000 S 5/8" 6/06/2022  ON
Serial: 90301525 MANUAL

WATER 80003185 06-120420 166 WILDWOOD ACRES RD 1.000 S 5/8" 6/01/2016  ON
Serial: 80003185 MANUAL

WATER 80002609 06-120425 183 WILDWOOD ACRES RD 1.000 S 5/8" 5/12/2016  ON

Serial: 80002609 MANUAL
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DT PURCHSED:
DT INSTALL:
DT REPAIR:
DT TESTED:
BOOK:

0/00/0000 TO 99/99/9999
1/01/1900 TO 2/11/2026
0/00/0000 TO 99/99/9999
0/00/0000 TO 99/99/9999
06 - BOOK 06

- METER GROUP - METER NO# ACCOUNT NO#
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METER REPORT PAGE : 51
SEQ :ACCOUNT
SIZE :All Sizes
MAKE :All Makes
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
--MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
180 WILDWOOD ACRES RD 1.000 S-IPRL 5/8" 9/15/2025  ON
MANUAL
199 WILDWOOD ACRES RD 1.000 S 5/8" 9/25/2013  ON
MANUAL
205 WILDWOOD ACRES RD 1.000 S 5/8" 5/12/2016  ON
MANUAL
206 WILDWOOD ACRES RD 1.000 S-P 5/8 1/01/2007 3/05/2007  ON
MANUAL 1/01/2007
223 WILDWOOD ACRES RD 1.000 S 5/8" 6/06/2022  ON
MANUAL
242 §&244 WILDWOOD ACRES RD DU  1.000 S 5/8" 6/18/2018  ON
MANUAL
228 WILDWOOD ACRES RD 1.000 R-P 5/8 1/01/2001 6/07/1991  ON
MANUAL 1/01/2001
238 &240 WILDWOOD ACRES RD DU  1.000 S-P 5/8 1/01/2008 3/24/2008  ON
MANUAL 1/01/2008
178 PINECREST DR 1.000 S 5/8" 5/12/2016  ON
MANUAL
185 PINECREST DR 1.000 S 5/8" 5/12/2016  ON
MANUAL
186 PINECREST DR 1.000 S 5/8" 10/10/2013  ON
MANUAL
194 PINECREST DR 1.000 R-P 5/8 1/01/2006 4/24/2006  ON
MANUAL 1/01/2006
189 PINECREST DR 1.000 s 5/8" 12/12/2023  ON
MANUAL
201 PINECREST DR 1.000 S 5/8" 6/12/2019  ON
MANUAL
198 PINECREST DR 1.000 S 5/8" 5/12/2016  ON
MANUAL
208 PINECREST DR 1.000 S 5/8" 2/26/2019  ON
MANUAL
217 PINECREST DR 1.000 S 5/8" 10/22/2019  ON
MANUAL
222 PINECREST DR 1.000 S 5/8" 10/09/2020  ON
MANUAL
229 PINECREST DR 1.000 S-P 5/8 1/01/2009 2/20/2009  ON
MANUAL 1/01/2009
238 PINECREST DR 1.000 S 5/8" 10/22/2019  ON
MANUAL
250 PINECREST DR 1.000 S-P 5/8 1/01/2008 3/24/2008  ON
MANUAL 1/01/2008
258 PINECREST DR 1.000 S 5/8" 9/18/2017  ON
MANUAL
270 PINECREST DR 1.000 S 5/8" 9/17/2020  ON
MANUAL
280 PINECREST DR 1.000 S-P 5/8 1/01/2007 2/20/2007  ON
MANUAL 1/01/2007

Serial:

100933499 06-120426
100933499

73987961 06-120427
73987961

80002607 06-120428
80002607

67412769 06-120429
67412769

90301526 06-120430
90301526

84007966 06-120432
84007966

58575688 06-120433
58575688

67641508 06-120434
67641508

80002611 06-120438
80002611

80002564 06-120500
80002564

73987958 06-120515
73987958

66213907 06-120516
66213907

90301440 06-120517
90301440

86011762 06-120518
86011762

80002567 06-120600
80002567

86011902 06-120605
86011902

86011679 06-120606
86011679

88239766 06-120607
88239766

70171343 06-120608
70171343

86011680 06-120609
86011680

67641507 06-120611
67641507

82386884 06-120614
82386884

88239733 06-120615
88239733

67412729 06-120616
67412729
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DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 06 - BOOK 06

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 67412770 06-120620 265 PINECREST DR 1.000 S-P 5/8 1/01/2007 3/05/2007  ON
Serial: 67412770 MANUAL 1/01/2007

WATER 67412768 06-120621 299 PINECREST DR 1.000 S-P 5/8 1/01/2007 3/05/2007  ON
Serial: 67412768 MANUAL 1/01/2007

WATER 73681805 06-120627 296 PINECREST DR 1.000 S 5/8" 10/09/2013  ON
Serial: 73681805 MANUAL

WATER 90301621 06-120630 301 PINECREST DR 1.000 s 5/8" 2/09/2024  ON
Serial: 90301621 MANUAL

WATER 70171345 06-120632 302 PINECREST DR 1.000 S-P 5/8 1/01/2009 2/20/2009  ON
Serial: 70171345 MANUAL 1/01/2009

WATER 68691867 06-120634 314 PINECREST DR 1.000 R-P 5/8 1/01/2008 2/05/2008  ON
Serial: 68691867 MANUAL 1/01/2008

WATER 86011794 06-120635 383 PINECREST DR 1.000 S 5/8" 8/22/2019  ON
Serial: 86011794 MANUAL

WATER 86011903 06-120705 110 S HILLCREST DR 1.000 S 5/8" 2/26/2019  ON
Serial: 86011903 MANUAL

WATER 84008048 06-120708 109 S HILLCREST DR 1.000 S 5/8" 8/15/2018 6/25/2018  ON
Serial: 84008048 MANUAL

WATER 80002565 06-120720 113 S HILLCREST DR 1.000 S 5/8" 5/12/2016  ON
Serial: 80002565 MANUAL

WATER 80002568 06-120730 128 S HILLCREST DR 1.000 S 5/8" 5/12/2016  ON
Serial: 80002568 MANUAL

WATER 58575576 06-120800 136 S HILLCREST DR 1.000 R-P 5/8 1/01/2001 0/00/2000  ON
Serial: 58575576 MANUAL 1/01/2001

WATER 68691866 06-120900 150 S HILLCREST DR 1.000 R-P 5/8 1/01/2008 2/05/2008  ON
Serial: 68691866 MANUAL 1/01/2008

WATER 80002569 06-120910 154 S HILLCREST DR 1.000 S 5/8" 5/12/2016  ON
Serial: 80002569 MANUAL

WATER 86011795 06-120915 265 S HILLCREST DR 1.000 S 5/8" 8/22/2019  ON
Serial: 86011795 MANUAL

WATER 80002566 06-121000 172 S HILLCREST DR 1.000 S 5/8" 5/12/2016  ON
Serial: 80002566 MANUAL

WATER 86011792 06-121020 177 S HILLCREST DR 1.000 S 5/8" 8/22/2019  ON
Serial: 86011792 MANUAL

WATER 63056463 06-121021 195 S HILLCREST DR 1.000 S-P 5/8 1/01/2006 6/12/2006  ON
Serial: 63056463 MANUAL

WATER 80002752 06-121051 215 S HILLCREST DR 1.000 S 5/8" 1/06/2017 1/06/2017  ON
Serial: 80002752 MANUAL

WATER 84008059 06-121055 152 MEADOWVIEW LN 1.000 S 5/8" 2/13/2019  ON
Serial: 84008059 MANUAL

WATER 59010984 06-121100 229 S HILLCREST DR 1.000 R-P 5/8 1/01/2001 11/02/1980  ON
Serial: 59010984 MANUAL 1/01/2001

WATER 67641230 06-121105 128 SIROCCO LN 1.000 R-P 5/8 1/01/2008 2/07/2008  ON
Serial: 67641230 MANUAL 1/01/2008

WATER 80002606 06-121107 129 SIROCCO LN 1.000 s 5/8" 5/12/2016  ON
Serial: 80002606 MANUAL

WATER 67641362 06-121110 151 SIROCCO LN 1.000 R-P 5/8 1/01/2008 1/30/2008  ON

Serial: 67641362 MANUAL 1/01/2008
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DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 06 - BOOK 06
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- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 80002608 06-121115 158 SIROCCO LN 1.000 S 5/8" 5/12/2016  ON
Serial: 80002608 MANUAL
WATER 80002610 06-121120 184 SIROCCO LN 1.000 S 5/8" 5/12/2016  ON
Serial: 80002610 MANUAL
WATER 90301813 06-121140 186 MEADOWVIEW LN 1.000 S 5/8" 9/12/2022  ON
Serial: 90301813 MANUAL
WATER 71032074 06-121150 245 S HILLCREST DR 1.000 S-P 5/8 1/01/2010 3/08/2010  ON
Serial: 71032074 MANUAL 1/01/2010
WATER 67641156 06-121190 249 S HILLCREST DR 1.000 S-P 5/8 1/01/2007 10/23/2007  ON
Serial: 67641156 MANUAL 1/01/2007
WATER 86011888 06-121195 268 S HILLCREST DR 1.000 s 5/8" 10/10/2019  ON
Serial: 86011888 MANUAL
WATER 73987962 06-121197 274 S HILLCREST DR 1.000 S 5/8" 9/25/2013  ON
Serial: 73987962 MANUAL
WATER 86011921 06-121198 285 S HILLCREST DR 1.000 S 5/8" 4/09/2019  ON
Serial: 86011921 MANUAL
WATER 75618746 06-121200 290 S HILLCREST DR 1.000 S 5/8" 11/12/2014  ON
Serial: 75618746 MANUAL
WATER 80003495 06-121300 296 S HILLCREST DR 1.000 S 5/8" 5/18/2016  ON
Serial: 80003495 MANUAL
WATER 80003496 06-121400 298 S HILLCREST DR 1.000 S 5/8" 5/18/2016  ON
Serial: 80003496 MANUAL
WATER 88239882 06-121401 295 S HILLCREST DR 1.000 s 5/8" 2/04/2021  ON
Serial: 88239882 MANUAL
WATER 90301770 06-121402 307 S HILLCREST DR 1.000 s 5/8" 10/07/2021  ON
Serial: 90301770 MANUAL
WATER 73987963 06-121500 304 S HILLCREST DR 1.000 S 5/8" 9/25/2013  ON
Serial: 73987963 MANUAL
WATER 66213620 06-121505 137 TWO FOLD WAY 1.000 S-P 5/8 1/01/2006 3/30/2006  ON
Serial: 66213620 MANUAL 1/01/2006
WATER 80003494 06-121510 135 TWO FOLD WAY 1.000 S 5/8" 5/18/2016  OFF
Serial: 80003494 1.000 MANUAL
WATER 80003497 06-121515 122 TWO FOLD WAY 1.000 S 5/8" 5/18/2016  ON
Serial: 80003497 MANUAL
WATER 82386779 06-121600 314 S HILLCREST DR 1.000 S 5/8" 8/23/2017  ON
Serial: 82386779 MANUAL
WATER 66213623 06-121611 326 S HILLCREST DR 1.000 S-P 5/8 1/01/2006 3/30/2006  ON
Serial: 66213623 MANUAL 1/01/2006
WATER 70171341 06-121616 324 S HILLCREST DR 1.000 R-P 5/8 1/01/2009 4/21/1994  ON
Serial: 70171341 MANUAL 1/01/2009
WATER 82386324 06-121630 361 S HILLCREST DR 1.000 S 5/8" 8/21/2017  ON
Serial: 82386324 MANUAL
WATER 75618606 06-121635 429 S HILLCREST DR 1.000 S 5/8" 3/17/2015  ON
Serial: 75618606 MANUAL
WATER 67412718 06-121636 442 S HILLCREST DR 1.000 S-P 5/8 1/01/2007 3/05/2007  ON
Serial: 67412718 MANUAL 1/01/2007
WATER 80002915 06-121637 463 S HILLCREST DR 1.000 S 5/8" 5/25/2016  ON
Serial: 80002915 MANUAL
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DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 06 - BOOK 06
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- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 72853798 06-121638 426 S HILLCREST DR 1.000 S 5/8" 9/25/2013  ON
Serial: 72853798 MANUAL

WATER 90301571 06-121640 450 S HILLCREST DR 1.000 s 5/8" 4/25/2022  ON
Serial: 90301571 MANUAL

WATER 70171344 06-121650 123 SKYVIEW DR 1.000 S-P 5/8 1/01/2009 2/20/2009  ON
Serial: 70171344 MANUAL 1/01/2009

WATER 73987964 06-121660 133 SKYVIEW DR 1.000 S 5/8" 9/25/2013  ON
Serial: 73987964 MANUAL

WATER 70171346 06-121670 130 SKYVIEW DR 1.000 S-P 5/8 1/01/2009 2/20/2009  ON
Serial: 70171346 MANUAL 1/01/2009

WATER 88239854 06-121685 156 PENN LN 1.000 S 5/8" 9/21/2020  ON
Serial: 88239854 MANUAL

WATER 75618725 06-121688 126 PENN LN 1.000 S 5/8" 5/27/2014 5/27/2014  ON
Serial: 75618725 MANUAL

WATER 80002823 06-121689 110 PENN LN 1.000 S 5/8" 9/15/2016  ON
Serial: 80002823 MANUAL

WATER 80003499 06-121700 526 OLD WRIGHT SHOP RD 1.000 S 5/8" 5/18/2016  ON
Serial: 80003499 MANUAL

WATER 86011944 06-121705 520 OLD WRIGHT SHOP RD 1.000 s 5/8" 2/25/2019  ON
Serial: 86011944 MANUAL

WATER 84008106 06-121800 516 OLD WRIGHT SHOP RD 1.000 s 5/8" 7/23/2018  ON
Serial: 84008106 MANUAL

WATER 67412717 06-121900 512 OLD WRIGHT SHOP RD 1.000 S-P 5/8 1/01/2007 3/05/2007  ON
Serial: 67412717 MANUAL 1/01/2007

WATER 68691870 06-122108  WR SHOP RD BETH JOSE 1.000 R-P 5/8 1/01/2008 2/05/2008  ON
Serial: 68691870 MANUAL 1/01/2008

WATER 80002623 06-122110 460 OLD WRIGHT SHOP RD 1.000 s 5/8" 5/18/2016  ON
Serial: 80002623 MANUAL

WATER 82386335 06-122115 135 STORY DR 1.000 S 5/8" 7/25/2017  ON
Serial: 82386335 MANUAL

WATER 90301449 06-122200 597 SEMINOLE DR 1.000 S 5/8" 3/22/2022  ON
Serial: 90301449 MANUAL

WATER 90301792 06-122202 587 SEMINOLE DR 1.000 s 5/8" 10/22/2021  ON
Serial: 90301792 MANUAL

WATER 90301457 06-122208 580 SEMINOLE DR 1.000 s 5/8" 10/12/2023  ON
Serial: 90301457 MANUAL

WATER 882398884 06-122209 579 SEMINOLE DR 1.000 S 5/8" 2/04/2021  ON
Serial: 88239884 MANUAL

WATER 66213684 06-122210 566 SEMINOLE DR 1.000 R-P 5/8 1/01/2006 4/24/2006  ON
Serial: 66213684 MANUAL 1/01/2006

WATER 82386601 06-122215 111 MCBRANDON DR 1.000 S 5/8" 7/07/2017  ON
Serial: 82386601 MANUAL

WATER 82386600 06-122220 109 MCBRANDON DR 1.000 s 5/8" 7/07/2017  ON
Serial: 82386600 MANUAL

WATER 82386904 06-122225 107 MCBRANDON DR 1.000 s 5/8" 7/07/2017  ON
Serial: 82386904 MANUAL

WATER 84007920 06-122226 565 SEMINOLE DR 1.000 S 5/8" 3/26/2018  ON

Serial: 84007920 MANUAL
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BOOK: 06 - BOOK 06
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
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WATER 84007921 06-122227 567 SEMINOLE DR 1.000 S 5/8" 3/26/2018  ON
Serial: 84007921 MANUAL
WATER 84007916 06-122228 559 SEMINOLE DR 1.000 s 5/8" 3/26/2018  ON
Serial: 84007916 MANUAL
WATER 60181500 06-122229 561 SEMINOLE DR 1.000 R-P 5/8 1/01/2003 12/30/2000  ON
Serial: 60181500 MANUAL 1/01/2003
WATER 88240042 06-122300 558 SEMINOLE DR 1.000 S 5/8" 6/22/2020  ON
Serial: 88240042 MANUAL
WATER 58613085 06-122400 553 SEMINOLE DR 1.000 R-P 5/8 1/01/2001 12/30/2000  ON
Serial: 58613085 MANUAL 1/01/2001
WATER 80002618 06-122500 546 SEMINOLE DR 1.000 S 5/8" 5/18/2016  ON
Serial: 80002618 MANUAL
WATER 80002620 06-122600 549 SEMINOLE DR 1.000 S 5/8" 5/18/2016  ON
Serial: 80002620 MANUAL
WATER 80002622 06-122700 542 SEMINOLE DR 1.000 s 5/8" 5/18/2016  ON
Serial: 80002622 MANUAL
WATER 80002621 06-122800 531 SEMINOLE DR 1.000 S 5/8" 5/18/2016  ON
Serial: 80002621 MANUAL
WATER 80002587 06-122900 526 SEMINOLE DR 1.000 S 5/8" 5/18/2016  ON
Serial: 80002587 MANUAL
WATER 73987829 06-122920 527 SEMINOLE DR 1.000 S 5/8" 3/02/2012 ON
Serial: 73987829 MANUAL
WATER 80002586 06-123000 518 SEMINOLE DR 1.000 S 5/8" 5/18/2016  ON
Serial: 80002586 MANUAL
WATER 80002583 06-123100 516 SEMINOLE DR 1.000 S 5/8" 5/18/2016  ON
Serial: 80002583 MANUAL
WATER 75618642 06-123115 515 SEMINOLE DR 1.000 s 5/8" 6/08/2015  ON
Serial: 75618642 MANUAL
WATER 80002585 06-123200 511 SEMINOLE DR 1.000 S 5/8" 5/19/2016  ON
Serial: 80002585 MANUAL
WATER 80002584 06-123205 504 SEMINOLE DR 1.000 S 5/8" 5/19/2016  ON
Serial: 80002584 MANUAL
WATER 80003097 06-123300 503 SEMINOLE DR 1.000 S 5/8" 5/19/2016  ON
Serial: 80003097 MANUAL
WATER 58613081 06-123400 496 SEMINOLE DR 1.000 S-P 5/8 1/01/2001 9/17/2001  ON
Serial: 58613081 MANUAL 1/01/2001
WATER 80003096 06-123500 491 SEMINOLE DR 1.000 S 5/8" 5/19/2016  ON
Serial: 80003096 MANUAL
WATER 80003094 06-123600 488 SEMINOLE DR 1.000 s 5/8" 5/19/2016  ON
Serial: 80003094 MANUAL
WATER 9030167  06-123700 489 SEMINOLE DR 1.000 S 5/8" 10/07/2021  ON
Serial: 90301767 MANUAL
WATER 86011732 06-123800 475 SEMINOLE DR 1.000 s 5/8" 10/10/2019  ON
Serial: 86011732 MANUAL
WATER 80003095 06-123900 480 SEMINOLE DR 1.000 S 5/8" 5/19/2016  ON
Serial: 80003095 MANUAL
WATER 73987898 06-123910 473 SEMINOLE DR 1.000 s 5/8" 12/12/2013  ON
Serial: 73987898 MANUAL
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WATER 66213648 06-123911 472 SEMINOLE DR 1.000 R-P 5/8 1/01/2006 4/24/2006  ON
Serial: 66213648 MANUAL 1/01/2006
WATER 80003093 06-124000 461 SEMINOLE DR 1.000 S 5/8" 5/19/2016  ON

Serial: 80003093 MANUAL
WATER 84007942 06-124002 464 SEMINOLE DR 1.000 S 5/8" 4/10/2018  ON
Serial: 84007942 MANUAL
WATER 80003092 06-124015 459 SEMINOLE DR 1.000 S 5/8" 5/19/2016  ON
Serial: 80003092 MANUAL
WATER 73987980 06-124020 453 SEMINOLE DR 1.000 S 5/8" 8/14/2015 ON
Serial: 73987980 MANUAL
WATER 80002604 06-124021 454 SEMINOLE DR 1.000 S 5/8" 5/19/2016  ON
Serial: 80002604 MANUAL
WATER 53767107 06-124022 448 SEMINOLE DR 1.000 R-P 5/8" 1/01/1998 10/30/1998  ON
Serial: 53767107 MANUAL 1/01/1998
WATER 88239886 06-124024 447 SEMINOLE DR 1.000 S 5/8" 2/04/2021  ON
Serial: 88239886 MANUAL
WATER 73987959 06-124025 440 SEMINOLE DR 1.000 S 5/8" 9/25/2013  ON
Serial: 73987959 MANUAL
WATER 90301486 06-124100 437 SEMINOLE DR 1.000 s 5/8" 10/07/2021  ON
Serial: 90301486 MANUAL
WATER 90301484 06-124110 430 SEMINOLE DR 1.000 s 5/8" 10/07/2021  ON
Serial: 90301484 MANUAL
WATER 88239934 06-124200 429 SEMINOLE DR 1.000 s 5/8" 2/17/2021  ON
Serial: 88239934 MANUAL
WATER 71032077 06-124210 422 SEMINOLE DR 1.000 S-P 5/8 1/01/2010 3/08/2010  ON
Serial: 71032077 MANUAL 1/01/2010
WATER 75618748 06-124300 421 SEMINOLE DR 1.000 S 5/8" 4/25/2014  ON
Serial: 75618748 MANUAL
WATER 80002603 06-124400 413 SEMINOLE DR 1.000 S 5/8" 5/19/2016  ON
Serial: 80002603 MANUAL
WATER 67412714 06-124408 405 SEMINOLE DR 1.000 S-P 5/8 1/01/2007 3/05/2007  ON
Serial: 67412714 MANUAL 1/01/2007
WATER 82386329 06-124409 394 SEMINOLE DR 1.000 S 5/8" 8/21/2017  ON
Serial: 82386329 MANUAL
WATER 70171407 06-124410 396 SEMINOLE DR 1.000 S-P 5/8 1/01/2009 2/20/2009  ON
Serial: 70171407 MANUAL 1/01/2009
WATER 86011937 06-124411 400 SEMINOLE DR 1.000 S 5/8" 1/31/2019  ON
MANUAL
WATER 86011731 06-124412 406 SEMINOLE DR 1.000 S 5/8" 10/10/2019  ON
Serial: 86011731 MANUAL
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WATER 66213616 07-124439  WRIGHT SHOP RD 1.000 R-P 5/8 1/01/2006 4/25/2006  OFF
Serial: 66213616 MANUAL 1/01/2006

WATER 80002602 07-124440 442 OLD WRIGHT SHOP RD 1.000 s 5/8" 5/19/2016  ON
Serial: 80002602 MANUAL

WATER 72853881 07-124450 134 STORY DR 1.000 S 5/8" 3/21/2013  ON
Serial: 72853881 MANUAL

WATER 56458024 07-124500 434 OLD WRIGHT SHOP RD 1.000 R-P 5/8 1/01/2000 3/01/2001  ON
Serial: 56458024 MANUAL 1/01/2000

WATER 80002605 07-124600 428 OLD WRIGHT SHOP RD 1.000 S 5/8" 5/19/2016  ON
Serial: 80002605 MANUAL

WATER 67641085 07-124700 426 OLD WRIGHT SHOP ROAD 1.000 S-P 5/8 1/01/2008 1/23/2008  ON
Serial: 67641085 MANUAL 1/01/2008

WATER 80002601 07-124790 408 OLD WRIGHT SHOP RD 1.000 S 5/8" 5/19/2016  ON
Serial: 80002601 MANUAL

WATER 75618781 07-124800 416 OLD WRIGHT SHOP RD 1.000 s 5/8" 5/20/2015 5/20/2015  ON
Serial: 75618781 MANUAL

WATER 86011900 07-124810 400 OLD WRIGHT SHOP RD 1.000 S 5/8" 2/26/2019  ON
Serial: 86011900 MANUAL

WATER 80002600 07-124825 401 OLD WRIGHT SHOP RD 1.000 S 5/8" 5/19/2016  ON
Serial: 80002600 MANUAL

WATER 80002582 07-124900 386 OLD WRIGHT SHOP ROAD 1.000 S 5/8" 5/19/2016  ON
Serial: 80002582 MANUAL

WATER 80002596 07-125000 382 OLD WRIGHT SHOP RD 1.000 S 5/8" 5/23/2016  ON
Serial: 80002596 MANUAL

WATER 80002598 07-125100 379 OLD WRIGHT SHOP RD 1.000 S 5/8" 5/23/2016  ON
Serial: 80002598 MANUAL

WATER 80002597 07-125200 372 OLD WRIGHT SHOP RD 1.000 s 5/8" 5/23/2016  ON
Serial: 80002597 MANUAL

WATER 80002595 07-125300 366 OLD WRIGHT SHOP RD 1.000 S 5/8" 5/23/2016  ON
Serial: 80002595 MANUAL

WATER 80002594 07-125400 360 OLD WRIGHT SHOP RD 1.000 S 5/8" 5/23/2016  ON
Serial: 80002594 MANUAL

WATER 66213707 07-125505 121 MAPLE DR 1.000 R-P 5/8 1/01/2006 5/23/2006  ON
Serial: 66213707 MANUAL 1/01/2006

WATER 80003223 07-125700 137 MAPLE DR 1.000 S 5/8" 5/23/2016  ON
Serial: 80003223 MANUAL

WATER 82386905 07-125800 132 MAPLE DR 1.000 S 5/8" 7/07/2017  ON
Serial: 82386905 MANUAL

WATER 72853882 07-125900 143 MAPLE DR 1.000 s 5/8" 3/21/2013  ON
Serial: 72853882 MANUAL

WATER 59660709 07-125905 503 WRIGHT SHOP RD 1.000 R-P 5/8 1/01/2002 4/29/2002  ON
Serial: 59660709 MANUAL 1/01/2002

WATER 72853851 07-126000 140 MAPLE DR 1.000 S 5/8" 3/21/2013 ON
Serial: 72853851 MANUAL

WATER 80003218 07-126010 147 MAPLE DR 1.000 S 5/8" 5/23/2016  ON
Serial: 80003218 MANUAL

WATER 90301475 07-126109 146 MAPLE DR 1.000 S 5/8" 6/09/2023  ON

Serial: 90301475 MANUAL
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WATER 86011713 07-126115 159 MAPLE DR 1.000 S 5/8" 10/22/2019  ON
Serial: 86011713 MANUAL
WATER 80003219 07-126200 160 MAPLE DR 1.000 s 5/8" 5/23/2016  ON
Serial: 80003219 MANUAL
WATER 80003221 07-126215 167 MAPLE DR 1.000 S 5/8" 5/23/2016  ON
Serial: 80003221 MANUAL
WATER 80003220 07-126300 164 MAPLE DR 1.000 S 5/8" 5/23/2016  ON
Serial: 80003220 MANUAL
WATER 80003216 07-126400 173 MAPLE DR 1.000 S 5/8" 5/23/2016  ON
Serial: 80003216 MANUAL
WATER 80002844 07-126500 174 MAPLE DR 1.000 S 5/8" 5/23/2016  ON
Serial: 80002844 MANUAL
WATER 75618645 07-126600 181 MAPLE DR 1.000 S 5/8" 10/15/2015  ON
Serial: 75618645 MANUAL
WATER 80002840 07-126604 184 MAPLE DR 1.000 s 5/8" 5/23/2016  ON
Serial: 80002840 MANUAL
WATER 80003209 07-126610 186 MAPLE DR 1.000 S 5/8" 8/23/2016  ON
Serial: 80003209 MANUAL
WATER 80003207 07-126700 185 MAPLE DR 1.000 S 5/8" 8/23/2016  ON
Serial: 80003207 MANUAL
WATER 80003211 07-126800 193 MAPLE DR 1.000 S 5/8" 8/24/2016  ON
Serial: 80003211 MANUAL
WATER 80003208 07-126810 194 MAPLE DR 1.000 s 5/8" 8/24/2016  ON
Serial: 80003208 MANUAL
WATER 96689037 07-126811 199 MAPLE DR 1.000 S 5/8" 10/16/2024  ON
Serial: 96689037 MANUAL
WATER 67412716 07-126813 200 MAPLE DR 1.000 S-P 5/8 1/01/2007 3/05/2007  ON
Serial: 67412716 MANUAL 1/01/2007
WATER 82386902 07-126815 207 MAPLE DR 1.000 S 5/8" 7/07/2017  ON
Serial: 82386902 MANUAL
WATER 70171289 07-126818 211 MAPLE DR 1.000 R-P 5/8 1/01/2009 9/23/2009  ON
Serial: 70171289 MANUAL 1/01/2009
WATER 67412713 07-126819 218 MAPLE DR 1.000 S-P 5/8 1/01/2007 3/05/2007  ON
Serial: 67412713 MANUAL 1/01/2007
WATER 72853848 07-126820 121 MAPLE LAWN PL 1.000 S 5/8" 3/21/2013 ON
Serial: 72853848 MANUAL
WATER 75618619 07-126825 118 MAPLE LAWN PL 1.000 S 5/8" 5/14/2015  ON
Serial: 75618619 MANUAL
WATER 59660723 07-126826 120 MAPLE LAWN PL 1.000 s 5/8" 5/11/2015  ON
Serial: 59660723 MANUAL
WATER 67412715 07-126830 136 MAPLE LAWN PL 1.000 S-P 5/8 1/01/2007 3/05/2007  ON
Serial: 67412715 MANUAL 1/01/2007
WATER 71032075 07-126833 142 MAPLE LAWN PL 1.000 S-P 5/8 1/01/2010 3/08/2010  ON
Serial: 71032075 MANUAL 1/01/2010
WATER 80003206 07-126835 154 MAPLE LAWN PL 1.000 S 5/8" 8/24/2016  ON
Serial: 80003206 MANUAL
WATER 67412735 07-126838 159 MAPLE LAWN PL 1.000 S-P 5/8 1/01/2007 3/05/2007  ON
Serial: 67412735 MANUAL 1/01/2007





2/11/2026 12:41 PM METER REPORT PAGE : 59

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 07 - BOOK 07

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 80002789 07-130000 349 OLD WRIGHT SHOP RD 1.000 S 5/8" 8/25/2016  ON
Serial: 80002789 MANUAL

WATER 80002791 07-140000 109 CRESTVIEW DR A 1.000 S 5/8" 8/25/2016  ON
Serial: 80002791 MANUAL

WATER 70132078 07-140005 109 CRESTVIEW DR B 1.000 S-P 5/8 1/01/2010 3/09/2010  ON
Serial: 70132078 MANUAL 1/01/2010

WATER 73987999 07-140100 115 CRESTVIEW DR 1.000 S 5/8" 3/21/2013 ON
Serial: 73987999 MANUAL

WATER 66213604 07-140200 123 CRESTVIEW DR 1.000 R-P 5/8 1/01/2006 4/25/2006  ON
Serial: 66213604 MANUAL 1/01/2006

WATER 75618753 07-140210 125 CRESTVIEW DR 1.000 s 5/8" 4/25/2014  ON
Serial: 75618753 MANUAL

WATER 75618761 07-140211 126 CRESTVIEW DR 1.000 S 5/8" 12/18/2014  ON
Serial: 75618761 MANUAL

WATER 75618609 07-140215 137 CRESTVIEW DR 1.000 S 5/8" 3/17/2015 3/17/2015  ON
Serial: 75618609 MANUAL

WATER 86011915 07-140220 140 CRESTVIEW DR 1.000 S 5/8" 6/25/2019  ON
Serial: 86011915 MANUAL

WATER 58881594 (07-140300 342 OLD WRIGHT SHOP RD 1.000 R-P 5/8 1/01/2001 10/17/2001  ON
Serial: 58881594 MANUAL 1/01/2001

WATER 58881548 (07-140400 338 OLD WRIGHT SHOP RD 1.000 R-P 1/01/2001 10/17/2001  ON
Serial: 58881548 MANUAL 1/01/2001

WATER 58881545 (07-140500 126 CRESTVIEW DR 1.000 R-P 5/8 1/01/2001 10/17/2001  OFF
Serial: 58881545 MANUAL 1/01/2001

WATER 58881597 07-140515 331 OLD WRIGHT SHOP ROAD 1.000 R-P 5/8 1/01/2001 10/17/2001  ON
Serial: 58881597 MANUAL 1/01/2001

WATER 71032073 07-140520 323 OLD WRIGHT SHOP RD 1.000 S-P 5/8 1/01/2010 3/09/2010  ON
Serial: 71032073 MANUAL 1/01/2010

WATER 86011867 07-140530 324 OLD WRIGHT SHOP ROAD 1.000 S 5/8" 6/20/2019  ON
Serial: 86011867 MANUAL

WATER 58881550 07-140600 322 OLD WRIGHT SHOP ROAD 1.000 R-P 5/8 1/01/2001 10/17/2001  ON
Serial: 58881550 MANUAL 1/01/2001

WATER 71032076 07-140700 315 OLD WRIGHT SHOP RD 1.000 S-P 5/8 1/01/2010 3/09/2010 ON
Serial: 71032076 MANUAL 1/01/2010

WATER 67412736 07-140705 320 OLD WRIGHT SHOP RD 1.000 S-P 5/8 1/01/2007 3/05/2007  ON
Serial: 67412736 MANUAL 1/01/2007

WATER 75618608 07-140710 304 WRIGHT SHOP RD 1.000 S 5/8" 3/17/2015  ON
Serial: 75618608 MANUAL

WATER 73987996 07-140711 100 REICHARD DR 106 F 1.000 S 5/8" 3/21/2013  ON
Serial: 73987996 MANUAL

WATER 73987824 07-140712 100 REICHARD DR E 1.000 S 5/8" 3/21/2013  ON
Serial: 73987824 MANUAL

WATER 73987995 07-140713 100 REICHARD DR 104 D 1.000 S 5/8" 3/21/2013 ON
Serial: 73987995 MANUAL

WATER 52407287 07-140714 100 REICHARD DR C 1.000 R-P 5/8 1/01/1997 0/00/2000  ON
Serial: 52407287 MANUAL 1/01/1997

WATER 73987820 07-140715 100 REICHARD DR B 1.000 S 5/8" 3/21/2013 ON

Serial: 73987820 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 60
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 07 - BOOK 07
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 73987825 07-140716 100 REICHARD DR 101 1.000 S 5/8" 3/21/2013  ON
Serial: 73987825 MANUAL
WATER 58881549 07-140800 101 REICHARD DR 1.000 R-P 5/8" 1/01/2001 10/17/2001  ON
Serial: 58881549 MANUAL 1/01/2001
WATER 71458494 07-140805 113 REICHARD DR 1.000 S 5/8" 3/25/2011  ON
Serial: 71458494 MANUAL
WATER 58881547 (07-140810 128 REICHARD DR 1.000 R-P 5/8 1/01/2001 10/17/2001  ON
Serial: 58881547 MANUAL 1/01/2001
WATER 58575581 07-140812 129 REICHARD DR 1.000 R-P 5/8 1/01/2001 12/30/2000  OFF
Serial: 58575581 MANUAL 1/01/2001
WATER 58575585 07-140814 133 REICHARD DR 1.000 R-P 1/01/2001 8/31/2001  ON
Serial: 58575585 MANUAL 1/01/2001
WATER 90301507 07-140815 143 REICHARD DR 1.000 S 5/8" 5/11/2023  ON
Serial: 90301507 MANUAL
WATER 82386903 07-140816 134 REICHARD LN 1.000 s 5/8" 7/07/2017  ON
Serial: 82386903 MANUAL
WATER 90301508 07-140817 145 REICHARD DR 1.000 S 5/8" 5/11/2023  ON
Serial: 90301508 MANUAL
WATER 84008047 07-140818 147 REICHARD DR 1.000 s 5/8" 1/31/2018  ON
Serial: 84008047 MANUAL
WATER 72853773 07-140820 149 REICHARD DR 1.000 S 5/8" 3/21/2013 ON
Serial: 72853773 MANUAL
WATER 67412734 07-140825 163 REICHARD DR 1.000 S-P 5/8 1/01/2007 3/05/2007  ON
Serial: 67412734 MANUAL 1/01/2007
WATER 73987838 07-140828 169 REICHARD DR 1.000 S 5/8" 3/08/2012 3/08/2012  ON
Serial: 73987838 MANUAL
WATER 67412731 07-140830 389 WRIGHT SHOP RD 1.000 S-P 5/8 1/01/2007 3/06/2007  ON
Serial: 67412731 MANUAL 1/01/2007
WATER 67412733 07-140831 114 RIVERVIEW RD 1.000 S-P 5/8 1/01/2007 3/06/2007  ON
Serial: 67412733 MANUAL 1/01/2007
WATER 71458495 07-140832 130 RIVERVIEW RD 100 1.000 S 5/8" 3/25/2011  ON
Serial: 71458495 MANUAL
WATER 71458481 (07-140833 130 RIVERVIEW RD 102 1.000 S 5/8" 3/25/2011  ON
Serial: 71458481 MANUAL
WATER 75618739 07-140834 134 RIVERVIEW RD 1.000 S 5/8" 6/15/2016 6/15/2016  ON
MANUAL
WATER 56458176 07-140835 132 RIVERVIEW RD 1.000 S-P 5/8 1/01/2001 12/30/2000  ON
Serial: 56458176 MANUAL 1/01/2001
WATER 72853841 07-140844 142 RIVERVIEW RD 100 1.000 s 5/8" 3/21/2013  ON
Serial: 72853841 MANUAL
WATER 67412732 07-140845 142 RIVERVIEW RD 102 1.000 S-P 5/8 1/01/2007 3/06/2007  ON
Serial: 67412732 MANUAL 1/01/2007
WATER 51182456 07-140854 150 RIVERVIEW RD 100 1.000 S-P 5/8 1/01/1996 10/28/2011  ON
Serial: 51182456 MANUAL 1/01/1996
WATER 51182457 (07-140855 150 RIVERVIEW RD 102 1.000 S-P 5/8 1/01/1996 0/00/2000  ON
Serial: 51182457 MANUAL 1/01/1996
WATER 90301567 07-140856 158 RIVERVIEW RD A 1.000 S 5/8" 3/15/2022  ON
Serial: 90301567 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 61

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 07 - BOOK 07

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 90301731 07-140858 158 RIVERVIEW RD B 1.000 S 5/8" 10/06/2022  ON
Serial: 90301731 MANUAL

WATER 50231693 07-140870 180 RIVERVIEW RD 1.000 R-P 5/8 1/01/1996 0/00/2000  ON
Serial: 50231693 MANUAL 1/01/1996

WATER 90301459 07-140873 202 RIVERVIEW RD 1.000 S 5/8" 10/05/2023  ON
Serial: 90301459 MANUAL

WATER 67412706 07-140875 204 RIVERVIEW RD 1.000 S-P 5/8 1/01/2007 3/06/2007  ON
Serial: 67412706 MANUAL 1/01/2007

WATER 80003437 07-140880 244 RIVERVIEW RD 1.000 S 5/8" 6/15/2016 6/15/2016  ON

MANUAL

WATER 90301723 07-140881 265 RIVERVIEW RD 1.000 s 5/8" 10/19/2022  ON
Serial: 90301723 MANUAL

WATER 67641234 07-140890 294 RIVERVIEW RD 1.000 R-P 5/8 1/01/2008 2/07/2008  ON
Serial: 67641234 MANUAL 1/01/2008

WATER 67412705 07-140893 332 RIVERVIEW RD 1.000 S-P 5/8 1/01/2007 3/06/2007  ON
Serial: 67412705 MANUAL 1/01/2007

WATER 75618621 07-140898 366 RIVERVIEW RD 1.000 S 5/8" 3/27/2018  ON
Serial: 75618621 MANUAL

WATER 54773312 07-140900 382 RIVERVIEW RD 1.000 S-P 5/8 1/01/1998 4/05/1999  ON
Serial: 54773312 MANUAL 1/01/1998

WATER 70171249 07-140915 456 RIVERVIEW RD 1.000 S-P 5/8 1/01/2009 0/00/2000  ON
Serial: 70171249 MANUAL

WATER 12345678 07-140916 462 RIVERVIEW RD 1.000 s 5/8" 7/30/2010  ON
Serial: 12345678 MANUAL

WATER 71458531 07-140917 468 RIVERVIEW RD 1.000 S 5/8" 8/04/2010  ON
Serial: 71458531 MANUAL

WATER 75618817 07-140918 474 RIVERVIEW RD 1.000 S 5/8" 11/26/2013  ON
Serial: 75618817 MANUAL

WATER 80002938 07-140947 786 RIVERVIEW RD 1.000 S 5/8" 3/24/2016  ON
Serial: 80002938 MANUAL

WATER 71458553 07-140960 733 RIVERVIEW RD 1.000 s 5/8" 12/20/2010  ON
Serial: 71458553 MANUAL

WATER 86011837 07-141015 485 RIVERVIEW RD 1.000 S 5/8" 5/14/2019 ON
Serial: 86011837 MANUAL

WATER 67412704 07-141030 264 RANDOLPH ST 1.000 S-P 5/8 1/01/2007 3/06/2007  ON
Serial: 67412704 MANUAL 1/01/2007

WATER 67412702 07-141040 302 RANDOLPH ST 1.000 S-P 5/8 1/01/2007 3/06/2007  ON
Serial: 67412702 MANUAL 1/01/2007

WATER 67412703 07-141045 314 RANDOLPH ST 1.000 S-P 5/8 1/01/2007 3/06/2007  ON
Serial: 67412703 MANUAL 1/01/2007

WATER 67641233 07-141110 167 RANDOLPH ST 1.000 R-P 5/8 1/01/2008 2/07/2008  ON
Serial: 67641233 MANUAL 1/01/2008

WATER 67412701 07-141114 143 RANDOLPH ST 1.000 S-P 5/8 1/01/2007 3/06/2007  ON
Serial: 67412701 MANUAL 1/01/2007

WATER 86011875 07-141120 133 RANDOLPH ST 1.000 s 5/8" 7/25/2019  ON
Serial: 86011875 MANUAL

WATER 84007918 07-141200 291 RIVERVIEW RD 1.000 S 5/8" 3/26/2018  ON

Serial: 84007918 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 62
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 07 - BOOK 07
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 67412676 07-141215 275 RIVERVIEW RD 1.000 S-P 5/8 1/01/2007 3/06/2007  OFF
Serial: 67412676 MANUAL 1/01/2007
WATER 67412675 07-141220 116 NORMAN DR 1.000 S-P 5/8 1/01/2007 3/07/2007  ON
Serial: 67412675 MANUAL 1/01/2007
WATER 67412673 07-141222 114 NORMAN DR 1.000 S-P 5/8 1/01/2007 3/07/2007  ON
Serial: 67412673 MANUAL 1/01/2007
WATER 84008070 07-141224 155 CALLANDS DR 1.000 S 5/8" 3/26/2018  ON
Serial: 84008070 MANUAL

WATER 82386819 07-141225 137 CALLANDS DR 1.000 s 5/8" 7/13/2017  ON
Serial: 82386819 MANUAL

WATER 56458122 07-141250 109 CALLANDS DR 1.000 S-P 5/8 1/01/1999 3/06/2001  ON
Serial: 56458122 MANUAL

WATER 63056532 07-141260 119 CALLANDS DR 1.000 S-P 5/8 1/01/2006 7/10/2006  ON
Serial: 63056532 MANUAL

WATER 67412671 07-141300 225 RIVERVIEW RD 1.000 S-P 5/8 1/01/2007 3/07/2007  ON
Serial: 67412671 MANUAL 1/01/2007

WATER 71032052 07-141304 197 RIVERVIEW RD 1.000 S-P 5/8 4/01/2010 4/05/2010  ON
Serial: 71032052 MANUAL 4/01/2010

WATER 80002575 07-141310 189 RIVERVIEW RD 1.000 S 5/8" 6/15/2016 6/15/2016  OFF
Serial: 80002575 1.000 MANUAL

WATER 88239734 (07-141313 140 BEAGLE LN 1.000 S 5/8" 9/21/2020  ON
Serial: 88239734 MANUAL

WATER 67412674 07-141315 165 RIVERVIEW RD 1.000 S-P 5/8 1/01/2007 3/07/2007  ON
Serial: 67412674 MANUAL 1/01/2007

WATER 80003435 07-141317 157 RIVERVIEW RD 1.000 s 5/8" 6/15/2016 6/15/2016  ON
Serial: 80003435 MANUAL

WATER 67412672 07-141320 149 RIVERVIEW RD 1.000 S-P 5/8 1/01/2007 3/07/2007  ON
Serial: 67412672 MANUAL 1/01/2007

WATER 71032041 07-141322 135 RIVERVIEW RD 1.000 S-P 5/8 1/01/2010 3/09/2010  ON
Serial: 71032041 MANUAL 1/01/2010

WATER 82386292 07-141323 147 RIVERVIEW RD 1.000 s 5/8" 7/13/2017  ON
Serial: 82386292 MANUAL

WATER 80002581 (07-141324 129 RIVERVIEW RD 1.000 S 5/8" 6/15/2016 6/15/2016  ON
Serial: 80002581 MANUAL

WATER 80003434 (07-141325 115 RIVERVIEW RD 1.000 S 5/8" 6/15/2016 6/15/2016  ON
Serial: 80003434 MANUAL

WATER 66213679 07-141326 123 BEAGLE LN 1.000 S-P 1/01/2006 12/27/2006  ON
Serial: 66213679 MANUAL 1/01/2006

WATER 80002577 07-141400 290 OLD WRIGHT SHOP ROAD 1.000 s 5/8" 6/15/2016 6/15/2016  ON
Serial: 80002577 MANUAL

WATER 80002578 07-141500 281 OLD WRIGHT SHOP RD 1.000 S 5/8" 6/15/2016 6/15/2016  ON
Serial: 80002578 MANUAL

WATER 80002579 07-141505 288 OLD WRIGHT SHOP RD 1.000 S 5/8" 6/15/2016 6/15/2016  ON
Serial: 80002579 MANUAL

WATER 80002570 07-141600 113 CHURCHVIEW DR 1.000 S 5/8" 6/15/2016 6/15/2016  OFF
Serial: 80002570 1.000 MANUAL

WATER 80002571 07-141700 279 OLD WRIGHT SHOP RD 1.000 S 5/8" 6/15/2016 6/15/2016  ON
Serial: 80002571 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 63

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 07 - BOOK 07

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 88239798 07-141701 263 OLD WRIGHT SHOP ROAD 1.000 S 5/8" 10/08/2020  ON
Serial: 88239798 MANUAL

WATER 67641283 07-141703 118 CHURCHVIEW DR 1.000 S-P 5/8 1/01/2007 3/09/2007  OFF
Serial: 67641283 MANUAL 1/01/2007

WATER 80002574 07-141705 131 CHURCHVIEW DR 1.000 S 5/8" 6/15/2016 6/15/2016  ON
Serial: 80002574 MANUAL

WATER 86011733 07-141709 138 CHURCHVIEW DR 1.000 s 5/8" 10/10/2019  ON
Serial: 86011733 MANUAL

WATER 80002573 07-141710 139 CHURCHVIEW DR 1.000 S 5/8" 6/15/2016 6/15/2016  ON
Serial: 80002573 MANUAL

WATER 71032038 07-141800 153 CHURCHVIEW DR 1.000 S-P 5/8 1/01/2010 3/09/2010 ON
Serial: 71032038 MANUAL 1/01/2010

WATER 88239797 07-141805 146 CHURCHVIEW DR 1.000 S 5/8" 10/08/2020  ON
Serial: 88239797 MANUAL

WATER 90301629 07-141810 173 CHURCHVIEW DR 1.000 S 5/8" 4/20/2022  ON
Serial: 90301629 MANUAL

WATER 82386469 07-141811 179 CHURCHVIEW DR A 1.000 S 5/8" 7/13/2017  ON
Serial: 82386469 MANUAL

WATER 82386338 07-141812 179 CHURCHVIEW DR B 1.000 s 5/8" 7/13/2017  ON
Serial: 82386338 MANUAL

WATER 88239827 (07-141898 261 WRIGHT SHOP RD 1.000 S 5/8" 8/20/2020  ON
Serial: 88239827 MANUAL

WATER 72853770 07-141899 108 CHURCHVIEW DR 1.000 S 5/8" 3/21/2013 ON
Serial: 72853770 MANUAL

WATER 90301541 07-141900  WRIGHT SHOP RD 1.000 S 5/8" 10/08/2021  ON
Serial: 90301541 MANUAL

WATER 54773340 07-141907 127 SANDY BOTTOM LN 1.000 R-P 5/8 1/01/1998 2/22/1999  ON
Serial: 54773340 MANUAL 1/01/1998

WATER 54773331 07-141908 259 OLD WRIGHT SHOP RD 1.000 S-P 5/8 1/01/1998 3/30/1999  ON
Serial: 54773331 MANUAL

WATER 72853846 07-141975 240 OLD WRIGHT SHOP RD 1.000 S 5/8" 3/21/2013 ON
Serial: 72853846 MANUAL

WATER 67412747 07-142000 233 OLD WRIGHT SHOP RD 1.000 S-P 5/8 1/01/2007 3/07/2007  ON
Serial: 67412747 MANUAL 1/01/2007

WATER 80002572 07-142100 220 OLD WRIGHT SHOP RD 1.000 S 5/8" 6/15/2016 6/15/2016  ON
Serial: 80002572 MANUAL

WATER 72853769 07-142110 191 OLD WRIGHT SHOP RD 1.000 S 5/8" 3/21/2013  ON
Serial: 72853769 MANUAL

WATER 82386472 07-142200 176 OLD WRIGHT SHOP RD 1.000 S 5/8" 7/13/2017  ON
Serial: 82386472 MANUAL

WATER 82386471 07-142300 175 OLD WRIGHT SHOP RD 1.000 S 5/8" 7/13/2017  ON
Serial: 82386471 MANUAL

WATER 82386583 07-142400 160 OLD WRIGHT SHOP RD 1.000 S 5/8" 6/03/2019  ON
Serial: 82386583 MANUAL

WATER 70171442 07-142402 153 OLD WRIGHT SHOP RD 1.000 S-P 5/8 1/01/2009 2/20/2009  ON
Serial: 70171442 MANUAL 1/01/2009

WATER 82386901 07-142500 152 OLD WRIGHT SHOP RD 1.000 s 5/8" 7/10/2017  ON

Serial: 82386901 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 64

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 07 - BOOK 07

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 82386900 07-142700 144 OLD WRIGHT SHOP RD 1.000 S 5/8" 7/10/2017  ON
Serial: 82386900 MANUAL

WATER 67412748 07-142710 139 OLD WRIGHT SHOP RD 1.000 S-P 5/8 1/01/2007 3/07/2007  OFF
Serial: 67412748 MANUAL 1/01/2007

WATER 80002706 07-142715 142 OLD WRIGHT SHOP RD 1.000 S 5/8" 6/15/2016 6/15/2016  ON
Serial: 80002706 MANUAL

WATER 100933449 07-142800 114 TYREE CIR 1.000 S-IPRL  5/8" 10/14/2025  ON
Serial: 100933449 MANUAL

WATER 80002705 07-143000 124 TYREE CIR 1.000 S 5/8" 6/15/2016 6/15/2016  ON
Serial: 80002705 MANUAL

WATER 66213663 07-143100 128 TYREE CIR 1.000 R-P 5/8 1/01/2006 4/25/2006  ON
Serial: 66213663 MANUAL 1/01/2006

WATER 80002703 07-143200 129 TYREE CIR 1.000 S 5/8" 6/15/2016 6/15/2016  ON
Serial: 80002703 MANUAL

WATER 80002788 07-143300 137 TYREE CIR 1.000 S 5/8" 8/25/2016  ON
Serial: 80002788 MANUAL

WATER 75618695 07-143400 145 TYREE CIR 1.000 S 5/8" 6/25/2015 6/10/2015  ON
Serial: 75618695 MANUAL

WATER 80002787 07-143500 148 TYREE CIR 1.000 S 5/8" 8/30/2016  ON
Serial: 80002787 MANUAL

WATER 72853845 07-143502 154 TYREE CIR 1.000 S 5/8" 3/21/2013 ON
Serial: 72853845 MANUAL

WATER 73987887 07-143600 153 TYREE CIR 1.000 S 5/8" 3/02/2012 ON
Serial: 73987887 MANUAL

WATER 80003121 07-143700 159 TYREE CIR 1.000 S 5/8" 8/30/2016  ON
Serial: 80003121 MANUAL

WATER 80003120 07-143800 173 TYREE CIR 1.000 S 5/8" 8/30/2016  ON
Serial: 80003120 MANUAL

WATER 80003117 07-143900 175 TYREE CIR 1.000 S 5/8" 8/30/2016  ON
Serial: 80003117 MANUAL

WATER 66213662 07-143910 174 TYREE CIR 1.000 R-P 5/8 1/01/2006 4/25/2006  ON
Serial: 66213662 MANUAL 1/01/2006

WATER 88240015 07-144000 189 TYREE CIR 1.000 S 5/8" 8/18/2020  ON
Serial: 88240015 MANUAL

WATER 67412746 07-144010 188 TYREE CIR 1.000 S-P 5/8 1/01/2007 3/07/2007  OFF
Serial: 67412746 MANUAL 1/01/2007

WATER 71032042 07-144100 190 TYREE CIR 1.000 S-P 5/8 1/01/2010 3/09/2010  ON
Serial: 71032042 MANUAL 1/01/2010

WATER 90301523 07-144110 197 TYREE CIR 1.000 S 5/8" 5/25/2022  ON
Serial: 90301523 MANUAL

WATER 82386682 07-144120 201 TYREE CIR 1.000 S 5/8" 7/10/2017  ON
Serial: 82386682 MANUAL

WATER 80003116 07-144200 204 TYREE CIR 1.000 S 5/8" 8/30/2016  ON
Serial: 80003116 MANUAL

WATER 58575560 07-144300 206 TYREE CIR 1.000 R-P 5/8 1/01/2001 9/18/2001  ON
Serial: 58575560 MANUAL 1/01/2001

WATER 86011735 07-144310 205 TYREE CIR 1.000 S 5/8" 9/04/2019  ON

Serial: 86011735 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 65

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 07 - BOOK 07

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 86011890 07-144400 211 TYREE CIR 1.000 S 5/8" 10/10/2019  ON
Serial: 86011890 MANUAL

WATER 86011891 07-144410 216 TYREE CIR 1.000 S 5/8" 10/10/2019  ON
Serial: 86011891 MANUAL

WATER 80003119 07-144500 330 TYREE CIR 1.000 S 5/8" 8/30/2016  ON
Serial: 80003119 MANUAL

WATER 88239828 07-144600 227 TYREE CIR 1.000 S 5/8" 8/20/2020  ON
Serial: 88239828 MANUAL

WATER 67641231 07-144700 235 TYREE CIR 1.000 R-P 5/8 1/01/2008 2/07/2008  ON
Serial: 67641231 MANUAL 1/01/2008

WATER 75618742 07-144701 257 TYREE CIR 1.000 s 5/8" 1/12/2015  OFF
Serial: 75618742 1.000 MANUAL

WATER 72853772 07-144702 281 TYREE CIR 1.000 S 5/8" 3/21/2013  ON
Serial: 72853772 MANUAL

WATER 67412743 07-144704 268 TYREE CIR 1.000 S-P 5/8 1/01/2007 3/07/2007  ON
Serial: 67412743 MANUAL 1/01/2007

WATER 80003090 07-144705 272 TYREE CIR 1.000 S 5/8" 8/30/2016  ON
Serial: 80003090 MANUAL

WATER 75618648 07-144710 280 TYREE CIR 1.000 s 5/8" 12/11/2015  OFF
Serial: 75618648 1.000 MANUAL

WATER 70171538 07-144714 287 TYREE CIR 1.000 S-P 5/8 1/01/2009 5/07/2009  ON
Serial: 70171538 MANUAL 1/01/2009

WATER 70171342 07-144715 224 TYREE CIR 1.000 S-P 5/8 1/01/2009 2/20/2009  ON
Serial: 70171342 MANUAL 1/01/2009

WATER 54773402 07-144800 106 TYREE CIR 1.000 R-P 5/8 1/01/2001 10/18/2001  ON
Serial: 54773402 MANUAL 1/01/2001

WATER 75618683 07-144900 123 OLD WRIGHT SHOP RD 1.000 s 5/8" 4/10/2015  ON
Serial: 75618683 MANUAL

WATER 67412745 07-144910 118 OLD WRIGHT SHOP RD 1.000 S-P 5/8 1/01/2007 3/07/2007  ON
Serial: 67412745 MANUAL 1/01/2007

WATER 82386683 07-145000 121 OLD WRIGHT SHOP RD 1.000 s 5/8" 7/10/2017  ON
Serial: 82386683 MANUAL

WATER 88239852 07-145002 104 OLD WRIGHT SHOP RD 1.000 S 5/8" 9/21/2020  ON
Serial: 88239852 MANUAL

WATER 96689006 07-145003 216 WRIGHT SHOP RD 1.000 S-IPRL  5/8" 10/14/2025 ON
Serial: 96689006 MANUAL

WATER 67641341 07-145016 169 FLOOD RD 1.000 S-P 5/8 1/01/2007 8/30/2007  ON
Serial: 67641341 MANUAL 1/01/2007

WATER 67641342 07-145017 171 FLOOD RD 1.000 S-P 5/8 1/01/2007 8/30/2007  ON
Serial: 67641342 MANUAL

WATER 82386678 07-145018 179 FLOOD RD 1.000 S 5/8" 7/10/2017  ON
Serial: 82386678 MANUAL

WATER 70171186 07-145020 203 FLOOD RD 1.000 S-P 1/01/2009 2/20/2009  ON
Serial: 70171186 MANUAL 1/01/2009

WATER 86011874 (07-145022 206 FLOOD RD 1.000 S 5/8" 6/25/2019  OFF
Serial: 86011874 1.000 MANUAL

WATER 82386679 07-145023 217 FLOOD RD 1.000 s 5/8" 7/10/2017  ON

Serial: 82386679 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 66

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 07 - BOOK 07

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 70171189 07-145025 229 FLOOD RD 1.000 S-P 5/8 1/01/2009 2/20/2009  ON
Serial: 70171189 MANUAL 1/01/2009

WATER 67412699 07-145030 238 FLOOD RD 1.000 S-P 5/8 1/01/2007 3/07/2007  ON
Serial: 67412699 MANUAL 1/01/2007

WATER 71032037 07-145035 250 FLOOD RD 1.000 S-P 5/8 1/01/2010 3/09/2010  ON
Serial: 71032037 MANUAL 1/01/2010

WATER 72853844 (07-145100 215 WRIGHT SHOP RD 1.000 S 5/8" 3/21/2013 ON
Serial: 72853844 MANUAL

WATER 66213700 07-145110 214 WRIGHT SHOP RD 1.000 R-P 5/8 1/01/2006 4/25/2006  ON
Serial: 66213700 MANUAL 1/01/2006

WATER 88239762 07-145200 211 WRIGHT SHOP RD 1.000 s 5/8" 10/13/2020  ON
Serial: 88239762 MANUAL

WATER 66213699 07-145300 207 WRIGHT SHOP RD 1.000 R-P 5/8 1/01/2006 4/25/2006  ON
Serial: 66213699 MANUAL 1/01/2006

WATER 90301805 07-145305 196 WRIGHT SHOP RD 1.000 s 5/8" 7/29/2021  ON
Serial: 90301805 MANUAL

WATER 70171187 07-145307 193 WRIGHT SHOP RD 1.000 S-P 5/8 1/01/2009 2/20/2009  ON
Serial: 70171187 MANUAL 1/01/2009

WATER 739878256 07-145400 189 WRIGHT SHOP RD 1.000 S 5/8" 3/02/2012  ON
Serial: 73987326 MANUAL

WATER 73681713 07-145402 177 WRIGHT SHOP RD 1.000 s 5/8" 7/26/2012  ON
Serial: 73681713 MANUAL

WATER 86011857 07-145405 192 WRIGHT SHOP RD 1.000 s 5/8" 11/21/2019  ON
Serial: 86011857 MANUAL

WATER 90301754 07-145407 194 WRIGHT SHOP RD 1.000 S 5/8" 10/21/2021  OFF
Serial: 90301754 1.000 MANUAL

WATER 90301495 07-145415 180 WRIGHT SHOP RD 1.000 s 5/8" 1/12/2024  ON
Serial: 90301495 MANUAL

WATER 67412700 07-145600 165 WRIGHT SHOP RD 1.000 S-P 5/8 1/01/2007 3/07/2007  ON
Serial: 67412700 MANUAL 1/01/2007

WATER 75618772 07-145610 117 BRYANT RD 1.000 S 5/8" 3/24/2015 3/24/2015  ON
Serial: 75618772 MANUAL

WATER 75618773 07-145611 119 BRYANT RD 1.000 S 5/8" 3/24/2015  ON
Serial: 75618773 MANUAL

WATER 75618776 07-145612 121 BRYANT RD 1.000 S 5/8" 3/24/2015  ON
Serial: 75618776 MANUAL

WATER 90301780 07-145613 125 BRYANT RD 1.000 S 5/8" 6/09/2022  ON
Serial: 90301780 MANUAL

WATER 75618605 07-145614 123 BRYANT RD 1.000 s 5/8" 3/24/2015  ON
Serial: 75618605 MANUAL

WATER 56458051 07-145615 127 BRYANT RD 1.000 S-P 5/8 1/01/1999 1/08/2001  ON
Serial: 56458051 MANUAL

WATER 86011935 07-145700 131 BRYANT RD 1.000 s 5/8" 1/31/2019  ON

MANUAL

WATER 66213595 (07-145710 150 BRYANT RD 1.000 R-P 5/8 1/01/2006 4/26/2005  ON
Serial: 66213595 MANUAL 1/01/2006

WATER 66213591 07-145725 173 BRYANT RD 1.000 R-P 5/8 1/01/2006 4/26/2006  ON

Serial: 66213591 MANUAL 1/01/2006





2/11/2026 12:41 PM METER REPORT PAGE : 67
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 07 - BOOK 07
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 82386528 07-145735 164 BRYANT RD 1.000 S 5/8" 1/11/2018  ON
Serial: 82386528 MANUAL
WATER 70171185 07-145740 174 BRYANT RD 1.000 R-P 5/8 1/01/2009 2/20/2009  ON
Serial: 70171185 MANUAL 1/01/2009
WATER 72853774 07-145750 186 BRYANT RD 1.000 S 5/8" 3/21/2013  ON
Serial: 72853774 MANUAL
WATER 88239936 07-145760 193 BRYANT RD 1.000 S 5/8" 6/09/2020  ON
Serial: 88239936 MANUAL
WATER 88239774 07-145800 198 BRYANT RD 1.000 s 5/8" 2/15/2022  ON
MANUAL
WATER 56458064 (07-145803 206 BRYANT RD 1.000 S-P 5/8 1/01/2001 6/08/2001  ON
Serial: 56458064 MANUAL
WATER 56458059 07-145805 210 BRYANT RD 1.000 S-P 5/8 1/01/2001 6/08/2001  ON
Serial: 56458059 MANUAL
WATER 56458061 07-145809 218 BRYANT RD 1.000 S-P 5/8 1/01/2001 5/23/2001  ON
Serial: 56458061 MANUAL
WATER 70171502 07-145810 219 BRYANT RD 1.000 S-P 5/8 1/01/2009 2/25/2009  ON
Serial: 70171502 MANUAL 1/01/2009
WATER 67412696 07-145820 225 BRYANT RD 1.000 S-P 5/8 1/01/2007 3/07/2007  ON
Serial: 67412696 MANUAL 1/01/2007
WATER 56458140 07-145822 226 BRYANT RD 1.000 S-P 5/8 1/01/2001 7/31/2001  ON
Serial: 56458140 MANUAL 1/01/2001
WATER 90301540 07-145902 234 BRYANT RD 1.000 s 5/8" 10/08/2021  ON
Serial: 90301540 MANUAL
WATER 71032071 07-145908 282 BRYANT RD 1.000 S-P 5/8 1/01/2010 3/18/2010  ON
Serial: 71032071 MANUAL 1/01/2010
WATER 66213593 07-145910 254 BRYANT RD 1.000 R-P 5/8 1/01/2006 4/26/2006  ON
Serial: 66213593 MANUAL 1/01/2006
WATER 90301539 07-145990 321 BRYANT RD 1.000 S 5/8" 10/08/2021  ON
Serial: 90301539 MANUAL
WATER 54773325 07-145993 296 BRYANT RD 1.000 R-P 5/8 1/01/1998 0/00/2000  ON
Serial: 54773325 MANUAL 1/01/1998
WATER 63056496 07-145994 326 BRYANT RD 1.000 S-P 5/8 1/01/2006 4/11/2006  ON
Serial: 63056496 MANUAL
WATER 71032070 07-145995 330 BRYANT RD 1.000 S-P 5/8 1/01/2010 3/18/2010 ON
Serial: 71032070 MANUAL 1/01/2010
WATER 82386680 07-146002 337 BRYANT RD 1.000 S 5/8" 7/25/2017  ON
Serial: 82386680 MANUAL
WATER 75618744 07-146003 336 BRYANT RD - TRAILER 1.000 s 5/8" 12/11/2014  ON
Serial: 75618744 MANUAL
WATER 82386692 07-146010 347 BRYANT RD 1.000 S 5/8" 7/25/2017  ON
Serial: 82386692 MANUAL
WATER 82386681 07-146015 352 BRYANT RD 1.000 s 5/8" 7/10/2017  ON
Serial: 82386681 MANUAL
WATER 82386556 07-146016 355 BRYANT RD 1.000 s 5/8" 7/10/2017  ON
Serial: 82386556 MANUAL
WATER 96689015 07-146018 354 BRYANT RD 1.000 S-IPRL  5/8" 12/11/2024  ON
Serial: 96689015 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 68
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT

DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes

DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999

BOOK: 07 - BOOK 07
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

82386557
82386557
90301542
90301542
54773406
54773406
90301415
90301415
66213716
66213716
66213719
66213719
80002702
80002702
88239761
88239761
88239853
88239853
80002704
80002704
88239844
88239844

07-146020

07-146049

07-146050

07-146100

07-146200

07-146400

07-146410

07-146411

07-146412

07-146500

07-146600

360 BRYANT RD

149 WRIGHT SHOP

112 BRYANT RD

150 WRIGHT SHOP

138 WRIGHT SHOP

136 WRIGHT SHOP

130 WRIGHT SHOP

127 WRIGHT SHOP

107 WRIGHT SHOP

109 WRIGHT SHOP

114 WRIGHT SHOP

RD

RD

RD

RD

RD

RD

RD

RD

RD

MANUAL
S
MANUAL
R-P
MANUAL
S
MANUAL
R-P
MANUAL
R-P
MANUAL
S
MANUAL
S
MANUAL

MANUAL

MANUAL

MANUAL

5/8"

5/8"

5/8"

5/8"

5/8"

1/01/2001

1/01/2006

1/01/2006

6/16/2016

6/16/2016

7/10/2017
10/08/2021
10/18/2001

1/01/2001

6/17/2024

4/26/2006

1/01/2006

4/26/2006

1/01/2006

6/16/2016
10/13/2020

9/21/2020

6/16/2016

10/13/2020

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON





2/11/2026 12:41 PM METER REPORT PAGE : 69

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 08 - BOOK 08

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 80003204 08-147000 111 GREENWOOD DR 1.000 S 5/8" 6/16/2016 6/16/2016  ON
Serial: 80003204 MANUAL

WATER 86011938 08-147100 108 GREENWOOD DR 1.000 s 5/8" 1/31/2019  ON
Serial: 86011938 MANUAL

WATER 70171500 08-147300 117 GREENWOOD DR 1.000 S-P 5/8 1/01/2009 2/25/2009  ON
Serial: 70171500 MANUAL 1/01/2009

WATER 90301669 08-147400 125 GREENWOOD DR 1.000 s 5/8" 2/15/2023  ON
Serial: 90301669 MANUAL

WATER 90301430 08-147600 124 GREENWOOD DR 1.000 s 5/8" 2/21/2024  ON
Serial: 90301430 MANUAL

WATER 88239931 08-147800 132 GREENWOOD DR 1.000 s 5/8" 4/06/2021  ON
Serial: 88239931 MANUAL

WATER 67641665 08-147901 133 GREENWOOD DR 1.000 R-P 5/8 1/01/2008 2/07/2008  ON
Serial: 67641665 MANUAL 1/01/2008

WATER 67641662 08-148000 139 GREENWOOD DR 1.000 R-P 5/8 1/01/2008 2/07/2008  ON
Serial: 67641662 MANUAL 1/01/2008

WATER 52407272 08-148007 150 SHRADER DR 1.000 S-P 5/8 1/01/1998 5/19/1999 ON
Serial: 52407272 MANUAL 1/01/1998

WATER 67641663 08-148100 136 GREENWOOD DR 1.000 R-P 5/8 1/01/2008 2/07/2008  ON
Serial: 67641663 MANUAL 1/01/2008

WATER 67641666 08-149000 142 GREENWOOD DR 1.000 R-P 5/8 1/01/2008 2/07/2008  ON
Serial: 67641666 MANUAL 1/01/2008

WATER 66213942 08-149100 147 GREENWOOD DR 1.000 S-P 5/8 1/01/2006 3/29/2006  ON
Serial: 66213942 MANUAL 1/01/2006

WATER 70171497 08-149400 157 GREENWOOD DR 1.000 s-P 5/8 1/01/2009 2/23/2009  ON
Serial: 70171497 MANUAL 1/01/2009

WATER 72853761 08-149500 148 GREENWOOD DR 1.000 s 5/8" 3/22/2013  ON
Serial: 72853761 MANUAL

WATER 96688941 08-149600 158 GREENWOOD DR 1.000 S 5/8" 10/16/2024  ON
Serial: 96688941 MANUAL

WATER 86011889 08-149700 163 GREENWOOD DR 1.000 s 5/8" 10/22/2019  ON
Serial: 86011889 MANUAL

WATER 80003205 08-149800 166 GREENWOOD DR 1.000 S 5/8" 6/16/2016 6/16/2016  ON
Serial: 80003205 MANUAL

WATER 84007974 08-150000 176 GREENWOOD DR 1.000 s 5/8" 10/11/2018  OFF
Serial: 84007974 1.000 MANUAL

WATER 80003203 08-150100 178 GREENWOOD DR 1.000 S 5/8" 6/16/2016 6/16/2016  ON
Serial: 80003203 MANUAL

WATER 82386552 08-150200 107 CIRCLE VIEW DR 1.000 s 5/8" 7/11/2017  ON
Serial: 82386552 MANUAL

WATER 80003202 08-150300 104 CIRCLE VIEW DR 1.000 S 5/8" 6/16/2016 6/16/2016  ON
Serial: 80003202 MANUAL

WATER 84008009 08-150400 192 GREENWOOD DR 1.000 s 5/8" 12/21/2017  ON
Serial: 84008009 MANUAL

WATER 75618650 08-150600 200 GREENWOOD DR 1.000 s 5/8" 2/12/2016  ON
Serial: 75618650 MANUAL

WATER 82386299 08-150700 205 GREENWOOD DR 1.000 S 5/8" 5/16/2017  ON

Serial: 82386299 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 70

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 08 - BOOK 08

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 90301823 08-150800 208 GREENWOOD DR 1.000 S 5/8" 4/10/2023  ON
Serial: 90301823 MANUAL

WATER 66510774 08-150900 209 GREENWOOD DR 1.000 R-P 5/8 1/01/2006 5/24/2006  ON
Serial: 66510774 MANUAL 1/01/2006

WATER 80003201 08-151000 216 GREENWOOD DR 1.000 S 5/8" 6/16/2016 6/16/2016  ON
Serial: 80003201 MANUAL

WATER 73987833 08-151010 221 GREENWOOD DR 1.000 S 5/8" 3/08/2012 3/08/2012  ON
Serial: 73987833 MANUAL

WATER 53767121 08-151100 222 GREENWOOD DR 1.000 R-P 1/01/1998 10/14/2016  ON
Serial: 53767121 MANUAL 1/01/1998

WATER 66213599 08-151600 228 GREENWOOD DR 1.000 S-P 5/8 1/01/2006 3/29/2006  ON
Serial: 66213599 MANUAL 1/01/2006

WATER 67641664 08-151700 223 GREENWOOD DR 1.000 R-P 5/8 1/01/2008 2/12/2008  ON
Serial: 67641664 MANUAL 1/01/2008

WATER 67641661 08-151800 231 GREENWOOD DR 1.000 R-P 5/8 1/01/2008 2/12/2008  ON
Serial: 67641661 MANUAL 1/01/2008

WATER 82386503 08-151900 236 GREENWOOD DR 1.000 S 5/8" 12/19/2017  ON
Serial: 82386503 MANUAL

WATER 70171499 08-152000 239 GREENWOOD DR 1.000 S-P 1/01/2009 2/25/2009  ON
Serial: 70171499 MANUAL 1/01/2009

WATER 86011761 08-152100 244 GREENWOOD DR 1.000 S 5/8" 6/14/2019  ON
Serial: 86011761 MANUAL

WATER 73987840 08-152300 251 GREENWOOD DR 1.000 S 5/8" 3/08/2012 3/08/2012 ON
Serial: 73987840 MANUAL

WATER 90301455 08-152400 257 GREENWOOD DR 1.000 s 5/8" 10/16/2023  ON
Serial: 90301455 MANUAL

WATER 70171413 08-152500 260 GREENWOOD DR 1.000 S-P 5/8 1/01/2009 2/25/2009  ON
Serial: 70171413 MANUAL 1/01/2009

WATER 75618640 08-152600 265 GREENWOOD DR 1.000 S 5/8" 10/20/2015  ON
Serial: 75618640 MANUAL

WATER 70171501 08-152800 269 GREENWOOD DR 1.000 S-P 5/8 1/01/2009 2/25/2009  ON
Serial: 70171501 MANUAL 1/01/2009

WATER 82386371 08-152900 274 GREENWOOD DR 1.000 S 5/8" 5/15/2017 ON
Serial: 82386371 MANUAL

WATER 70171498 08-153000 275 GREENWOOD DR 1.000 S-P 5/8 1/01/2009 2/25/2009  ON
Serial: 70171498 MANUAL 1/01/2009

WATER 86011945 08-153100 282 GREENWOOD DR 1.000 S 5/8" 2/25/2019  ON
Serial: 86011945 MANUAL

WATER 63056402 08-153200 289 GREENWOOD DR 1.000 R-P 5/8 1/01/2009 4/29/2009  ON
Serial: 63056402 MANUAL 1/01/2009

WATER 75618750 08-153300 286 GREENWOOD DR 1.000 S 5/8" 4/25/2014  ON

MANUAL

WATER 90301656 08-153400 291 GREENWOOD DR 1.000 s 5/8" 10/07/2022  ON
Serial: 90301656 MANUAL

WATER 88239801 08-153500 298 GREENWOOD DR 1.000 S 5/8" 10/08/2020 ON
Serial: 88239801 MANUAL

WATER 84008006 08-153600 299 GREENWOOD DR 1.000 S 5/8" 12/21/2017 ON

Serial: 84008006 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 71

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 08 - BOOK 08

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 73987832 08-153700 306 GREENWOOD DR 1.000 S 5/8" 3/08/2012 3/08/2012  ON
Serial: 73987832 MANUAL

WATER 68691869 08-153900 311 GREENWOOD DR 1.000 R-P 1/01/2008 2/12/2008  ON
Serial: 68691869 MANUAL 1/01/2008

WATER 68691871 08-154000 308 GREENWOOD DR 1.000 R-P 1/01/2008 2/12/2008  ON
Serial: 68691871 MANUAL 1/01/2008

WATER 70171394 08-154100 319 GREENWOOD DR 1.000 S-P 5/8 1/01/2009 2/25/2009  ON
Serial: 70171394 MANUAL 1/01/2009

WATER 64642935 08-154200 320 GREENWOOD DR 1.000 R-P 5/8 1/01/2006 5/24/2006  ON
Serial: 64642935 MANUAL 1/01/2006

WATER 70171402 08-154300 323 GREENWOOD DR 1.000 R-P 5/8 1/01/2009 4/29/2009  ON
Serial: 70171402 MANUAL 1/01/2009

WATER 73987779 08-154400 327 GREENWOOD DR 1.000 S 5/8" 3/06/2015  ON
Serial: 73987779 MANUAL

WATER 67641102 08-154500 432 HILLTOP DR 1.000 R-P 5/8 1/01/2008 2/14/2008  ON
Serial: 67641102 MANUAL 1/01/2008

WATER 66510773 08-154700 430 HILLTOP DR 1.000 R-P 5/8 1/01/2006 5/24/2006  ON
Serial: 66510773 MANUAL 1/01/2006

WATER 66213704 08-154800 425 HILLTOP DR 1.000 R-P 5/8 1/01/2006 5/22/2006  ON
Serial: 66213704 MANUAL 1/01/2006

WATER 72853843 08-154900 420 HILLTOP DR 1.000 S 5/8" 3/22/2013 ON
Serial: 72853843 MANUAL

WATER 71458464 08-155000 421 HILLTOP DR 1.000 S 5/8" 3/11/2011 ON
Serial: 71458464 MANUAL

WATER 68691868 08-155400 414 HILLTOP DR 1.000 R-P 5/8 1/01/2008 2/12/2008  ON
Serial: 68691868 MANUAL 1/01/2008

WATER 67641099 08-155500 400 HILLTOP DR 1.000 R-P 5/8 1/01/2008 2/14/2008  ON
Serial: 67641099 MANUAL 1/01/2008

WATER 80003520 08-155505 409 HILLTOP DR 1.000 S 5/8" 6/16/2016 6/16/2016  ON
Serial: 80003520 MANUAL

WATER 67641097 08-155600 401 HILLTOP DR 1.000 S-P 5/8 1/01/2008 2/14/2008  ON
Serial: 67641097 MANUAL 1/01/2008

WATER 67641100 08-155800 398 HILLTOP DR 1.000 S-P 1/01/2008 2/20/2008  ON
Serial: 67641100 MANUAL 1/01/2008

WATER 70171403 08-155805 399 HILLTOP DR 1.000 R-P 5/8 1/01/2009 4/29/2009  ON
Serial: 70171403 MANUAL 1/01/2009

WATER 70171287 08-155900 391 HILLTOP DR 1.000 R-P 5/8 1/01/2009 9/23/2009  ON
Serial: 70171287 MANUAL 1/01/2009

WATER 88239915 08-156000 390 HILLTOP DR 1.000 s 5/8" 4/06/2021  ON
Serial: 88239915 MANUAL

WATER 88239933 08-156100 383 HILLTOP DR 1.000 S 5/8" 2/05/2021  ON
Serial: 88239933 MANUAL

WATER 86011807 08-156200 382 HILLTOP DR 1.000 s 5/8" 10/22/2019  ON
Serial: 86011807 MANUAL

WATER 88239816 08-156300 376 HILLTOP DR 1.000 S 5/8" 8/18/2020  ON
Serial: 88239816 MANUAL

WATER 66213957 08-156400 377 HILLTOP DR 1.000 S-P 5/8 1/01/2006 2/24/2006  ON

Serial: 66213957 MANUAL 1/01/2006





2/11/2026 12:41 PM METER REPORT PAGE : 72

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 08 - BOOK 08

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 88239877 08-156500 369 HILLTOP DR 1.000 S 5/8" 2/05/2021  ON
Serial: 88239877 MANUAL

WATER 90301453 08-156600 368 HILLTOP DR 1.000 s 5/8" 10/17/2023  ON
Serial: 90301453 MANUAL

WATER 80002755 08-156700 354 HILLTOP DR 1.000 S 5/8" 10/14/2016  ON
Serial: 80002755 MANUAL

WATER 84007927 08-156800 353 HILLTOP DR 1.000 s 5/8" 12/21/2017  ON
Serial: 84007927 MANUAL

WATER 82386553 08-156900 352 HILLTOP DR 1.000 s 5/8" 7/11/2017  ON
Serial: 82386553 MANUAL

WATER 72853762 08-157000 346 HILLTOP DR 1.000 S 5/8" 3/22/2013 ON
Serial: 72853762 MANUAL

WATER 72853842 08-157100 336 HILLTOP DR 1.000 S 5/8" 3/22/2013  ON
Serial: 72853842 MANUAL

WATER 84008008 08-157200 330 HILLTOP DR 1.000 s 5/8" 12/21/2017  ON
Serial: 84008008 MANUAL

WATER 82386327 08-157300 337 HILLTOP DR 1.000 S 5/8" 8/21/2017  ON
Serial: 82386327 MANUAL

WATER 80002751 08-157400 343 HILLTOP DR 1.000 S 5/8" 12/15/2016 12/15/2016  ON
Serial: 80002751 MANUAL

WATER 86011926 08-157700 122 WELLVIEW DR 1.000 s 5/8" 2/26/2019  ON
Serial: 86011926 MANUAL

WATER 90301768 08-157900 185 LAUREL DR 1.000 s 5/8" 10/12/2021  ON
Serial: 90301768 MANUAL

WATER 88239878 08-158000 177 LAUREL DR 1.000 s 5/8" 2/05/2021  ON
Serial: 88239878 MANUAL

WATER 90301740 08-158200 169 LAUREL DR 1.000 s 5/8" 6/09/2022  ON
Serial: 90301740 MANUAL

WATER 86011805 08-158300 161 LAUREL DR 1.000 S 5/8" 10/22/2019  ON
Serial: 86011805 MANUAL

WATER 66213775 08-158400 153 LAUREL DR 1.000 S-P 5/8 1/01/2006 2/28/2006  ON
Serial: 66213775 MANUAL 1/01/2006

WATER 86011760 08-158500 145 LAUREL DR 1.000 S 5/8" 6/14/2019  ON
Serial: 86011760 MANUAL

WATER 100933513 08-158600 137 LAUREL DR 1.000 S-IPRL  5/8" 11/06/2025 ON
Serial: 100933513 MANUAL

WATER 90301535 08-158700 131 LAUREL DR 1.000 S 5/8" 10/13/2021  ON
Serial: 90301535 MANUAL

WATER 88239813 08-158800 123 LAUREL DR 1.000 s 5/8" 11/06/2020  ON
Serial: 88239813 MANUAL

WATER 90301779 08-158900 115 LAUREL DR 1.000 S 5/8" 6/09/2022  ON
Serial: 90301779 MANUAL

WATER 86011806 08-159000 111 LAUREL DR 1.000 s 5/8" 10/22/2019  ON
Serial: 86011806 MANUAL

WATER 90301536 08-159300 102 LAUREL DR 1.000 s 5/8" 10/13/2021  ON
Serial: 90301536 MANUAL

WATER 88239800 08-159500 118 LAUREL DR 1.000 S 5/8" 10/08/2020 ON

Serial: 88239800 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 73

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 08 - BOOK 08

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 71032036 08-159505 125 CHERRY LN 1.000 S-P 5/8 1/01/2010 3/18/2010  ON
Serial: 71032036 MANUAL 1/01/2010

WATER 70171445 08-159600 119 CHERRY LN 1.000 s 5/8" 1/18/2011  ON

MANUAL

WATER 66213771 08-159700 130 LAUREL DR 1.000 S-P 5/8 1/01/2006 3/28/2006  ON
Serial: 66213771 MANUAL 1/01/2006

WATER 96688960 08-159800 132 LAUREL DR 1.000 S-IPRL 5/8" 2/27/2025 ON
Serial: 96688960 MANUAL

WATER 96689040 08-159900 142 LAUREL DR 1.000 S-IPRL  5/8" 10/16/2024  ON
Serial: 96689040 MANUAL

WATER 75618569 08-160000 154 LAUREL DR 1.000 s 5/8" 12/14/2015 12/14/2015  ON
Serial: 75618569 MANUAL

WATER 86011804 08-160100 156 LAUREL DR 1.000 S 5/8" 10/22/2019  ON
Serial: 86011804 MANUAL

WATER 88239916 08-160200 164 LAUREL DR 1.000 s 5/8" 4/06/2021  ON
Serial: 88239916 MANUAL

WATER 54773428 08-160302 127 COUNTRY VILLAGE LN 102 1.000 R-P 5/8 1/01/1998 2/24/1999  ON
Serial: 54773428 MANUAL 1/01/1998

WATER 54773440 08-160303 127 COUNTRY VILLAGE LN 103 1.000 R-P 5/8 1/01/1998 2/24/1999  ON
Serial: 54773440 MANUAL 1/01/1998

WATER 88239912 08-160304 127 COUNTRY VILLAGE LN 104 1.000 s 5/8" 4/06/2021  ON
Serial: 88239912 MANUAL

WATER 54773442 08-160305 127 COUNTRY VILLAGE LN 105 1.000 R-P 5/8 1/01/1998 2/24/1999  ON
Serial: 54773442 MANUAL 1/01/1998

WATER 70171446 08-160306 127 COUNTRY VILLAGE LN 106 1.000 s 5/8" 2/20/2009  ON
Serial: 70171446 MANUAL

WATER 54773438 08-160307 127 COUNTRY VILLAGE LN 107 1.000 R-P 5/8 1/01/1998 2/24/1999  ON
Serial: 54773438 MANUAL 1/01/1998

WATER 54773418 08-160308 127 COUNTRY VILLAGE LN 108 1.000 R-P 5/8 1/01/1998 2/22/1949  ON
Serial: 54773418 MANUAL 1/01/1998

WATER 54773441 08-160309 127 COUNTRY VILLAGE LN 109 1.000 E-P 5/8 1/01/1998 2/24/1999  ON
Serial: 54773441 MANUAL 1/01/1998

WATER 54773437 08-160310 127 COUNTRY VILLAGE LN 110 1.000 R-P 5/8 1/01/1998 2/24/1999  ON
Serial: 54773437 MANUAL 1/01/1998

WATER 80002777 08-160311 144 COUNTRY VILLAGE LN 111 1.000 S 5/8" 6/16/2016 6/16/2016  ON
Serial: 80002777 MANUAL

WATER 84008057 08-160312 144 COUNTRY VILLAGE LN 112 1.000 S 5/8" 4/17/2018  ON
Serial: 84008057 MANUAL

WATER 82386554 08-160313 144 COUNTRY VILLAGE LN 113 1.000 s 5/8" 7/11/2017  ON
Serial: 82386554 MANUAL

WATER 80002779 08-160314 144 COUNTRY VILLAGE LN 114 1.000 S 5/8" 1/01/2016 1/01/2016  ON
Serial: 80002779 MANUAL

WATER 80002778 08-160315 144 COUNTRY VILLAGE LN 115 1.000 S 5/8" 6/16/2016 6/16/2016  ON
Serial: 80002778 MANUAL

WATER 80003519 08-160316 144 COUNTRY VILLAGE LN 116 1.000 S 5/8" 6/16/2016 6/16/2016  ON
Serial: 80003519 MANUAL

WATER 80003521 08-160317 144 COUNTRY VILLAGE LN 117 1.000 S 5/8" 6/16/2016 6/16/2016  ON

Serial: 80003521 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 74

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 08 - BOOK 08

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 80003518 08-160318 144 COUNTRY VILLAGE LN 118 1.000 S 5/8" 6/16/2016 6/16/2016  ON
Serial: 80003518 MANUAL

WATER 73987842 08-160319 144 COUNTRY VILLAGE LN 120 1.000 S 5/8" 3/08/2012 3/08/2012  ON
Serial: 73987842 MANUAL

WATER 84007972 08-160320 144 COUNTRY VILLAGE LN 119 1.000 S 5/8" 10/23/2018  ON
Serial: 84007972 MANUAL

WATER 88239815 08-160400 180 LAUREL DR 1.000 S 5/8" 8/18/2020  ON
Serial: 88239815 MANUAL

WATER 86011847 08-160500 184 LAUREL DR 1.000 s 5/8" 2/14/2020  ON
Serial: 86011847 MANUAL

WATER 84007933 08-160600 190 LAUREL DR 1.000 s 5/8" 10/23/2018  ON
Serial: 84007933 MANUAL

WATER 82386555 08-160900 148 WELLVIEW DR 1.000 S 5/8" 7/11/2017  ON
Serial: 82386555 MANUAL

WATER 70171439 08-161100 160 WELLVIEW DR 1.000 S-P 5/8 1/01/2009 2/20/2009  ON
Serial: 70171439 MANUAL 1/01/2009

WATER 67641638 08-161200 155 WELLVIEW DR 1.000 S-P 5/8 1/01/2008 2/20/2008  ON
Serial: 67641638 MANUAL 1/01/2008

WATER 82386712 08-161300 162 WELLVIEW DR 1.000 s 5/8" 7/11/2017  ON
Serial: 82386712 MANUAL

WATER 86011927 08-161500 169 WELLVIEW DR 1.000 s 5/8" 2/26/2019  ON
Serial: 86011927 MANUAL

WATER 67641641 08-161700 171 WELLVIEW DR 1.000 S-P 5/8 1/01/2008 2/20/2008  ON
Serial: 67641641 MANUAL 1/01/2008

WATER 72853760 08-161800 172 WELLVIEW DR 1.000 S 5/8" 3/22/2013  ON
Serial: 72853760 MANUAL

WATER 84007988 08-162000 181 WELLVIEW DR 1.000 S 5/8" 2/13/2019  ON
Serial: 84007988 MANUAL

WATER 67641637 08-162100 184 WELLVIEW DR 1.000 S-P 5/8 1/01/2008 2/20/2008  ON
Serial: 67641637 MANUAL 1/01/2008

WATER 67641639 08-162200 188 WELLVIEW DR 1.000 S-P 5/8 1/01/2008 2/20/2008  ON
Serial: 67641639 MANUAL 1/01/2008

WATER 67641640 08-162400 192 WELLVIEW DR 1.000 S-P 5/8 1/01/2008 2/20/2008  ON
Serial: 67641640 MANUAL 1/01/2008

WATER 56458084 08-162500 203 WELLVIEW DR 1.000 R-P 5/8 1/01/2000 2/21/2001  ON
Serial: 56458084 MANUAL 1/01/2000

WATER 66213800 08-162600 200 WELLVIEW DR 1.000 S-P 5/8 1/01/2006 3/02/2006  ON
Serial: 66213800 MANUAL 1/01/2006

WATER 86011681 08-162700 210 WELLVIEW DR 1.000 S 5/8" 10/16/2019  ON
Serial: 86011681 MANUAL

WATER 82386713 08-162800 113 PRESCOTT PL 1.000 S 5/8" 7/11/2017  ON
Serial: 82386713 MANUAL

WATER 88239814 08-162900 220 WELLVIEW DR 1.000 s 5/8" 11/06/2020  ON
Serial: 88239814 MANUAL

WATER 86011717 08-163400 243 MEADOWBROOK DR 1.000 s 5/8" 10/22/2019  ON
Serial: 86011717 MANUAL

WATER 86011710 08-163405 252 MEADOWBROOK DR 1.000 s 5/8" 7/24/2019  ON

Serial: 86011710 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 75

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 08 - BOOK 08

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 72853771 08-163500 268 MEADOWBROOK DR 1.000 S 5/8" 3/22/2013  ON
Serial: 72853771 MANUAL

WATER 88239812 08-163900 118 PRESCOTT PL 1.000 S 5/8" 11/06/2020  ON
Serial: 88239812 MANUAL

WATER 63056524 08-163947 129 GARFORD RD 1.000 S-P 5/8 1/01/2006 3/30/2006  ON
Serial: 63056524 MANUAL

WATER 56458021 08-163950 140 GARFORD RD 1.000 S-P 5/8 1/01/1999 11/13/2000 ON
Serial: 56458021 MANUAL

WATER 80002775 08-164000 128 GARFORD RD 1.000 S 5/8" 6/16/2016 6/16/2016  ON
Serial: 80002775 MANUAL

WATER 100933455 08-164900 295 LAUREL DR 1.000 S-IPRL  5/8" 10/15/2025  ON
Serial: 100933455 MANUAL

WATER 66213877 08-165100 290 LAUREL DR 1.000 S-P 5/8 1/01/2006 3/03/2006  ON
Serial: 66213877 MANUAL 1/01/2006

WATER 71032069 08-165200 287 LAUREL DR 1.000 S-P 5/8 1/01/2010 3/18/2010  ON
Serial: 71032069 MANUAL 1/01/2010

WATER 84008007 08-165300 283 LAUREL DR 1.000 S 5/8" 12/21/2017  ON
Serial: 84008007 MANUAL

WATER 88239818 08-165700 265 LAUREL DR 1.000 S 5/8" 8/18/2020  ON
Serial: 88239818 MANUAL

WATER 84007923 08-165800 278 LAUREL DR 1.000 s 5/8" 2/15/2018  ON
Serial: 84007923 MANUAL

WATER 67641246 08-165900 259 LAUREL DR 1.000 S-P 5/8 1/01/2007 8/30/2007  ON
Serial: 67641246 MANUAL 1/01/2007

WATER 86011924 08-166000 254 LAUREL DR 1.000 S 5/8" 2/26/2019  ON
Serial: 86011924 MANUAL

WATER 67641511 08-166200 248 LAUREL DR 1.000 S-P 5/8 1/01/2008 3/25/2008  ON
Serial: 67641511 MANUAL 1/01/2008

WATER 67641515 08-166300 243 LAUREL DR 1.000 S-P 5/8 1/01/2008 3/24/2008  ON
Serial: 67641515 MANUAL 1/01/2008

WATER 86011895 08-166400 240 LAUREL DR 1.000 s 5/8" 12/17/2019  ON
Serial: 86011895 MANUAL

WATER 86011714 08-166500 236 LAUREL DR 1.000 s 5/8" 1/30/2020  ON
Serial: 86011714 MANUAL

WATER 90301477 08-166600 229 LAUREL DR 1.000 S 5/8" 6/16/2023  ON
Serial: 90301477 MANUAL

WATER 90301533 08-166700 226 LAUREL DR 1.000 S 5/8" 10/13/2021  ON
Serial: 90301533 MANUAL

WATER 88239693 08-166750 216 LAUREL DR 1.000 s 5/8" 6/22/2020  ON
Serial: 88239693 MANUAL

WATER 88239692 08-166800 210 LAUREL DR 1.000 S 5/8" 6/22/2020  ON
Serial: 88239692 MANUAL

WATER 88239811 08-166900 221 LAUREL DR 1.000 s 5/8" 11/06/2020  ON
Serial: 88239811 MANUAL

WATER 72853757 08-167200 211 LAUREL DR 1.000 S 5/8" 3/22/2013 ON
Serial: 72853757 MANUAL

WATER 80002869 08-167900 321 HILLTOP DR 1.000 S 5/8" 9/07/2016  ON

Serial: 80002869 MANUAL
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DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT

DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes

DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999

BOOK: 08 - BOOK 08
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

100933504

100933504
67641538
67641538
80003522
80003522
80003200
80003200
80003523
80003523
80002774
80002774
82386694
82386694
70171237
70171237
84007965
84007965
90301454
90301454
82386297
82386297
66213798
66213798
80002776
80002776
70171235
70171235
67641535
67641535
80002719
73935
80003228
80003228
86011925
86011925
71458562

75618641
75618641
67641545
67641545
80003226
80003226
80003227
80003227
67641536
67641536

08-168200

08-168300

08-168400

08-168500

08-168600

08-168700

08-168800

08-168900

08-169000

08-169100

08-169200

08-169300

08-169400

08-169500

08-169600

08-169601

08-169700

08-169800

08-169900

08-170000

08-170100

08-170200

08-170400

08-170500

313

HILLTOP

HILLTOP

HILLTOP

HILLTOP

HILLTOP

HILLTOP

HILLTOP

HILLTOP

HILLTOP

HILLTOP

HILLTOP

HILLTOP

HILLTOP

HILLTOP

HILLTOP

HILLTOP

HILLTOP

HILLTOP

HILLTOP

HILLTOP

HILLTOP

HILLTOP

HILLTOP

HILLTOP

DR

DR

DR

DR

DR

DR

DR

DR

DR

DR

DR

DR

DR

DR

DR

DR

DR

DR

DR

DR

DR

DR

DR

1.000
1.000
1.000

MANUAL
S-P
MANUAL
S
MANUAL

MANUAL

MANUAL
S
MANUAL
S
MANUAL
S-P
MANUAL
S
MANUAL

MANUAL
S
MANUAL
S-P
MANUAL
S
MANUAL
S-P
MANUAL
S-P
MANUAL
S
MANUAL

MANUAL
S
MANUAL
S
MANUAL
S
MANUAL
S-P
MANUAL

MANUAL
S
MANUAL
S-P
MANUAL

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

1/01/2008

6/16/2016

6/16/2016

6/16/2016

7/06/2016

1/01/2009

1/01/2006

1/01/2009

1/01/2008

1/01/2006

1/01/2008

8/18/2025

3/10/2008

1/01/2008

6/16/2016

6/16/2016

6/16/2016

7/06/2016

6/29/2017

2/25/2009

1/01/2009

10/16/2018

10/17/2023

5/15/2017

3/08/2006

1/01/2006

7/06/2016

2/25/2009

1/01/2009

3/10/2008

1/01/2008

7/06/2016

7/07/2016

2/26/2019

6/16/2010

10/20/2015

6/15/2007

7/07/2016

7/07/2016

3/10/2008
1/01/2008

ON

ON

ON

ON

ON

ON

ON

ON

OFF

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON





2/11/2026 12:41 PM METER REPORT PAGE : 77
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 08 - BOOK 08
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 70171238 08-170700 213 HILLTOP DR 1.000 S-P 5/8 1/01/2009 2/25/2009  ON
Serial: 70171238 MANUAL 1/01/2009
WATER 84007975 08-170800 204 HILLTOP DR 1.000 s 5/8" 10/12/2018  ON
Serial: 84007975 MANUAL

WATER 82386709 08-170900 205 HILLTOP DR 1.000 S 5/8" 7/11/2017  ON
Serial: 82386709 MANUAL

WATER 67641540 08-171000 197 HILLTOP DR 1.000 S-P 5/8 1/01/2008 3/10/2008  ON
Serial: 67641540 MANUAL 1/01/2008

WATER 82386473 08-171100 196 HILLTOP DR 1.000 s 5/8" 7/13/2017  ON
Serial: 82386473 MANUAL

WATER 90301810 08-171200 190 HILLTOP DR 1.000 s 5/8" 1/21/2022  ON
Serial: 90301810 MANUAL

WATER 67641539 08-171400 189 HILLTOP DR 1.000 S-P 5/8 1/01/2008 3/10/2008  ON
Serial: 67641539 MANUAL 1/01/2008

WATER 67641503 08-171700 182 HILLTOP DR 1.000 S-P 5/8 1/01/2008 3/13/2008  ON
Serial: 67641503 MANUAL 1/01/2008

WATER 82386470 08-172400 157 LAKELAND CIR 1.000 S 5/8" 7/13/2017  ON
Serial: 82386470 MANUAL

WATER 67641500 08-172600 147 LAKELAND CIR 1.000 S-P 5/8 1/01/2008 3/13/2008  ON
Serial: 67641500 MANUAL 1/01/2008

WATER 67641499 08-173100 362 LAKEVIEW DR 1.000 S-P 5/8 1/01/2008 3/13/2008  ON
Serial: 67641499 MANUAL 1/01/2008

WATER 80003224 08-173300 352 LAKEVIEW DR 1.000 S 5/8" 8/08/2016  ON
Serial: 80003224 MANUAL

WATER 80003082 08-173400 350 LAKEVIEW DR 1.000 S 5/8" 7/07/2016  ON
Serial: 80003082 MANUAL

WATER 66214232 08-173500 337 LAKEVIEW DR 1.000 s 1 1/01/2006 3/03/2006  ON
Serial: 66214232 MANUAL 1/01/2006

WATER 70171622 08-173600 335 LAKEVIEW DR 1.000 R-P 5/8 1/01/2009 4/29/2009  OFF
Serial: 70171622 MANUAL 1/01/2009

WATER 80003225 08-173800 333 LAKEVIEW DR 1.000 s 5/8" 7/07/2016  OFF
Serial: 80003225 1.000 MANUAL

WATER 71032109 08-173996 327 LAKEVIEW DR 1.000 s 5/8" 4/01/2010  ON
Serial: 71032109 MANUAL

WATER 71032112 08-173997 317 LAKEVIEW DR 1.000 S-P 5/8 1/01/2010 1/05/2010 ON
Serial: 71032112 MANUAL

WATER 70171383 08-173998 313 LAKEVIEW DR 1.000 S-P 5/8 1/01/2009 7/21/2009  ON
Serial: 70171383 MANUAL

WATER 70171598 08-173999 305 LAKEVIEW DR 1.000 S-P 5/8 1/01/2009 7/21/2009  ON
Serial: 70171598 MANUAL

WATER 54773338 08-174000 301 LAKEVIEW DR 1.000 R-P 5/8 1/01/1998 2/24/1999  ON
Serial: 54773338 MANUAL 1/01/1998

WATER 73987843 08-174010 289 LAKEVIEW DR 107 1.000 S 5/8" 3/08/2012 3/08/2012  ON
Serial: 73987843 MANUAL

WATER 71032033 08-174011 289 LAKEVIEW DR 105 1.000 S-P 5/8 1/01/2010 3/18/2010 ON
Serial: 71032033 MANUAL 1/01/2010

WATER 73987841 08-174012 289 LAKEVIEW DR 103 1.000 S 5/8" 3/08/2012 3/08/2012 ON
Serial: 73987841 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 78

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 08 - BOOK 08

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 73987835 08-174013 289 LAKEVIEW DR 101 1.000 S 5/8" 3/08/2012 3/08/2012  ON
Serial: 73987835 MANUAL

WATER 67641172 08-174100 274 LAKEVIEW DR 1.000 S-P 5/8 1/01/2008 3/20/2008  ON
Serial: 67641172 MANUAL 1/01/2008

WATER 88239780 08-174200 281 LAKEVIEW DR 1.000 S 5/8" 8/19/2020  ON
Serial: 88239780 MANUAL

WATER 71032032 08-174205 277 LAKEVIEW DR 100 1.000 S-P 5/8 1/01/2010 3/17/2010  ON
Serial: 71032032 MANUAL 1/01/2010

WATER 71032035 08-174206 277 LAKEVIEW DR 102 1.000 S-P 5/8 1/01/2010 3/17/2010  ON
Serial: 71032035 MANUAL 1/01/2010

WATER 71032031 08-174207 277 LAKEVIEW DR 104 1.000 S-P 5/8 1/01/2010 3/17/2010  ON
Serial: 71032031 MANUAL 1/01/2010

WATER 71032034 08-174208 277 LAKEVIEW DR 106 1.000 S-P 5/8 1/01/2010 3/17/2010  ON
Serial: 71032034 MANUAL 1/01/2010

WATER 70171612 08-174300 267 LAKEVIEW DR 1.000 R-P 5/8 1/01/2009 4/30/2009  ON
Serial: 70171612 MANUAL 1/01/2009

WATER 73987834 08-174500 270 LAKEVIEW DR 1.000 S 5/8" 3/08/2012 3/08/2012  ON
Serial: 73987834 MANUAL

WATER 70171617 08-174600 259 LAKEVIEW DR 1.000 R-P 5/8 1/01/2009 4/29/2009  ON
Serial: 70171617 MANUAL 1/01/2009

WATER 82386710 08-174900 251 LAKEVIEW DR B 1.000 s 5/8" 7/11/2017  ON
Serial: 82386710 MANUAL

WATER 67412698 08-174901 251 LAKEVIEW DR A 1.000 S-P 5/8 1/01/2007 3/07/2007  ON
Serial: 67412698 MANUAL 1/01/2007

WATER 82386711 08-175000 264 LAKEVIEW DR 1.000 S 5/8" 7/11/2017  ON
Serial: 82386711 MANUAL

WATER 73988039 08-175300 116 DELLWOOD DR 1.000 S 5/8" 3/13/2012 3/13/2012  ON
Serial: 73988039 MANUAL

WATER 73681725 08-175400 128 DELLWOOD DR 1.000 S 5/8" 3/13/2012 3/13/2012  ON
Serial: 73681725 MANUAL

WATER 90301425 08-175450 129 DELLWOOD DR 1.000 S 5/8" 6/02/2025  ON
Serial: 90301425 MANUAL

WATER 67640969 08-175500 123 DELLWOOD DR 1.000 S-P 5/8 1/01/2008 3/11/2008  ON
Serial: 67640969 MANUAL 1/01/2008

WATER 67640968 08-175900 132 DELLWOOD DR 1.000 S-P 5/8 1/01/2008 3/11/2008  ON
Serial: 67640968 MANUAL 1/01/2008

WATER 67641537 08-176100 144 DELLWOOD DR 1.000 S-P 5/8 1/01/2008 3/11/2008  ON
Serial: 67641537 MANUAL 1/01/2008

WATER 67640966 08-176300 158 DELLWOOD DR 1.000 S-P 5/8 1/01/2008 3/11/2008  ON
Serial: 67640966 MANUAL 1/01/2008

WATER 58575508 08-177000 239 LAKEVIEW DR 1.000 S-P 5/8 1/01/2001 0/00/2000  ON
Serial: 58575508 MANUAL 1/01/2001

WATER 80002716 08-177200 227 LAKEVIEW DR 1.000 s 5/8" 7/07/2016  ON
Serial: 80002716 MANUAL

WATER 67640965 08-177500 226 LAKEVIEW DR 1.000 S-P 5/8 1/01/2008 3/11/2008  ON
Serial: 67640965 MANUAL 1/01/2008

WATER 67640970 08-177700 219 LAKEVIEW DR 1.000 S-P 5/8 1/01/2008 3/11/2008  ON

Serial: 67640970 MANUAL 1/01/2008





2/11/2026 12:41 PM METER REPORT PAGE : 79

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 08 - BOOK 08

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 67640967 08-177800 211 LAKEVIEW DR 1.000 S-P 5/8 1/01/2008 3/11/2008  ON
Serial: 67640967 MANUAL 1/01/2008

WATER 72853759 08-178000 218 LAKEVIEW DR 1.000 s 5/8" 3/22/2013  ON
Serial: 72853759 MANUAL

WATER 67641504 08-178200 205 LAKEVIEW DR 1.000 S-P 1/01/2008 3/13/2008  ON
Serial: 67641504 MANUAL 1/01/2008

WATER 70171406A 08-179001 109 SYCAMORE LN 1.000 R-P 5/8 1/01/2009 4/27/2009  ON
Serial: 70171406 MANUAL 1/01/2009

WATER 63056403 08-179005 169 SYCAMORE LN 1.000 S 5/8" 7/31/2008  ON
Serial: 63056403 MANUAL

WATER 67641501 08-179100 125 SYCAMORE LN 1.000 S-P 5/8 1/01/2008 3/13/2008  ON
Serial: 67641501 MANUAL 1/01/2008

WATER 82386468 08-179200 206 SYCAMORE LN MTR PLLD 1.000 S 5/8" 7/13/2017  OFF

Serial: 82386468 1.000 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 80

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 09 - BOOK 09

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 72853810 09-260200 217 GROVE AVE 1.000 s 5/8" 3/28/2013  ON
Serial: 72853810 MANUAL

WATER 67412697 09-260400 215 GROVE AVE 1.000 S-P 5/8 1/01/2007 3/08/2007  ON
Serial: 67412697 MANUAL 1/01/2007

WATER 70171611 09-260401 211 GROVE AVE 1.000 R-P 5/8 1/01/2009 4/30/2009  ON
Serial: 70171611 MANUAL 1/01/2009

WATER 70171477 09-260500 197 GROVE AVE 1.000 R-P 5/8 1/01/2009 4/29/2009  ON
Serial: 70171477 MANUAL 1/01/2009

WATER 70171430 09-260600 185 GROVE AVE 1.000 S-P 5/8 1/01/2009 3/30/2009  ON
Serial: 70171430 MANUAL 1/01/2009

WATER 701714042 09-260700 183 GROVE AVE 1.000 R-P 5/8 1/01/2009 4/27/2009  ON
Serial: 70171404 MANUAL 1/01/2009

WATER 70171515 09-260800 177 GROVE AVE 1.000 R-P 5/8 1/01/2009 4/27/2009  OFF
Serial: 70171515 MANUAL 1/01/2009

WATER 70171292 09-260900 175 GROVE AVE 1.000 R-P 5/8 1/01/2009 9/22/2009  ON
Serial: 70171292 MANUAL 1/01/2009

WATER 70171428 09-261000 161 GROVE AVE 1.000 S-P 5/8 1/01/2009 3/30/2009  ON
Serial: 70171428 MANUAL 1/01/2009

WATER 80002718 09-261100 151 GROVE AVE 1.000 s 5/8" 7/07/2016  ON
Serial: 80002718 MANUAL

WATER 67412695 09-261200 102 SPRING GROVE LN 1.000 S-P 5/8 1/01/2007 3/08/2007  ON
Serial: 67412695 MANUAL 1/01/2007

WATER 68692007 09-261300 128 SPRING GROVE LN 1.000 S 5/8" 8/26/2010  ON
Serial: 68692007 MANUAL

WATER 90301628 09-261398  528-A SPRING ST BOX 1.000 S 5/8" 4/20/2022  ON
Serial: 90301628 MANUAL

WATER 90301756 09-261400 130 SPRING GROVE LN 1.000 s 5/8" 10/21/2021  ON
Serial: 90301756 MANUAL

WATER 67412795 09-261500 144 SPRING GROVE LN 1.000 S-P 5/8 1/01/2007 3/08/2007  ON
Serial: 67412795 MANUAL 1/01/2007

WATER 90301776 09-261508 147 SPRING GROVE LN 100A 1.000 s 5/8" 10/21/2021  ON
Serial: 90301776 MANUAL

WATER 88239913 09-261509 147 SPRING GROVE LN 102 1.000 S 5/8" 5/21/2021  ON
Serial: 88239913 MANUAL

WATER 86011860 09-261510 147 SPRING GROVE LN 104 1.000 S 5/8" 8/30/2019  ON
Serial: 86011860 MANUAL

WATER 84007958 09-261511 147 SPRING GROVE LN 106 1.000 S 5/8" 4/06/2018  ON
Serial: 84007958 MANUAL

WATER 67412796 09-261800 125 SPRING GROVE LN 1.000 S-P 5/8 1/01/2007 3/08/2007  ON
Serial: 67412796 MANUAL 1/01/2007

WATER 82386665 09-262000 137 GROVE AVE 1.000 S 5/8" 7/13/2017  ON
Serial: 82386665 MANUAL

WATER 67412792 09-262100 133 GROVE AVE 1.000 S-P 5/8 1/01/2007 3/08/2007  ON
Serial: 67412792 MANUAL 1/01/2007

WATER 67412794 09-265000 4465 S AMHERST HWY 1.000 S-P 5/8 1/01/2007 3/08/2007  OFF
Serial: 67412794 MANUAL 1/01/2007

WATER 73681727 09-266700 4619 S AMHERST HWY 1.000 S 5/8" 3/15/2012 3/15/2012  OFF

Serial: 73681727 1.000 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 81

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 09 - BOOK 09

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 38843963 09-268550 S AMHERST HWY -WA NO 1.000 R-P 5/8 0/00/2000  ON
Serial: 38843963 MANUAL

WATER 67412793 09-269700 116 DANIELS DR 1.000 S-P 5/8 1/01/2007 3/08/2007  ON
Serial: 67412793 MANUAL 1/01/2007

WATER 82386664 09-269900 120 DANIELS DR 1.000 S 5/8" 7/13/2017  ON
Serial: 82386664 MANUAL

WATER 68692091 09-269990 4379 S AMHERST HWY 1.000 S-P 5/8 1/01/2009 1/20/2009  ON
Serial: 68692091 MANUAL

WATER 82386663 09-270100 140 DANIELS DR 1.000 s 5/8" 7/13/2017  ON
Serial: 82386663 MANUAL

WATER 67412791 09-270200 146 DANIELS DR 1.000 S-P 5/8 1/01/2007 3/08/2007  ON
Serial: 67412791 MANUAL 1/01/2007

WATER 67412784 09-270300 152 DANIELS DR 1.000 S-P 5/8 1/01/2007 3/08/2007  ON
Serial: 67412784 MANUAL 1/01/2007

WATER 80002714 09-270500 174 DANIELS DR 1.000 s 5/8" 7/07/2016  ON
Serial: 80002714 MANUAL

WATER 67412783 09-270600 180 DANIELS DR 1.000 S-P 5/8 1/01/2007 3/08/2007  ON
Serial: 67412783 MANUAL 1/01/2007

WATER 73988040 09-270800 194 DANIELS DR 1.000 S 5/8" 3/15/2012 3/15/2012  ON
Serial: 73988040 MANUAL

WATER 67412779 09-271000 212 DANIELS DR 1.000 S-P 5/8 1/01/2007 3/08/2007  ON
Serial: 67412779 MANUAL 1/01/2007

WATER 82386742 09-271025 218 DANIELS DR 1.000 s 5/8" 7/17/2017  ON
Serial: 82386742 MANUAL

WATER 75618775 09-271050 232 DANIELS DR 1.000 S 5/8" 3/24/2015  ON
Serial: 75618775 MANUAL

WATER 70171434 09-271100 227 DANIELS DR 1.000 S-P 5/8 1/01/2009 3/30/2009  ON
Serial: 70171434 MANUAL 1/01/2009

WATER 75618774 09-271200 219 DANIELS DR 1.000 S 5/8" 3/24/2015  ON
Serial: 75618774 MANUAL

WATER 67412781 09-271203 211 DANIELS DR 1.000 S-P 5/8 1/01/2007 3/08/2007  ON
Serial: 67412781 MANUAL 1/01/2007

WATER 67412782 09-271205 203 DANIELS DR 1.000 S-P 5/8 1/01/2007 3/08/2007  ON
Serial: 67412782 MANUAL 1/01/2007

WATER 67412780 09-271206 193 DANIELS DR 1.000 S-P 5/8 1/01/2007 3/08/2007  ON
Serial: 67412780 MANUAL 1/01/2007

WATER 80002715 09-271214 185 DANIELS DR 1.000 S 5/8" 7/07/2016  ON
Serial: 80002715 MANUAL

WATER 67640807 09-271215 177 DANIELS DR 1.000 S-P 5/8 1/01/2007 3/09/2007  ON
Serial: 67640807 MANUAL 1/01/2007

WATER 67640804 09-271220 161 DANIELS DR 1.000 S-P 5/8 1/01/2007 3/09/2007  ON
Serial: 67640804 MANUAL 1/01/2007

WATER 54773425 09-271221 159 DANIELS DR 1.000 R-P 5/8 1/01/1998 2/24/1999  ON
Serial: 54773425 MANUAL 1/01/1998

WATER 67640805 09-271300 151 DANIELS DR 1.000 S-P 5/8 1/01/2007 3/09/2007  ON
Serial: 67640805 MANUAL 1/01/2007

WATER 67640808 09-271400 139 DANIELS DR 1.000 S-P 5/8 1/01/2007 3/09/2007  ON

Serial: 67640808 MANUAL 1/01/2007





2/11/2026 12:41 PM METER REPORT PAGE : 82

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 09 - BOOK 09

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 67640803 09-271405 131 DANIELS DR 1.000 S-P 5/8 1/01/2007 3/09/2007  ON
Serial: 67640803 MANUAL 1/01/2007

WATER 70171623 09-271605 181 DANIELS PL 1.000 S-P 1/01/2009 3/30/2009  ON
Serial: 70171623 MANUAL 1/01/2009

WATER 67641361 09-271700 177 DANIELS PL 1.000 S-P 5/8 1/01/2008 3/20/2008  ON
Serial: 67641361 MANUAL 1/01/2008

WATER 67641169 09-271800 171 DANIELS PL 1.000 S-P 5/8 1/01/2008 3/20/2008  ON
Serial: 67641169 MANUAL 1/01/2008

WATER 67641170 09-271900 171 DANIELS PL 1.000 S-P 5/8 1/01/2008 3/20/2008  OFF
Serial: 67641170 MANUAL 1/01/2008

WATER 86011943 09-272000 163 DANIELS PL 1.000 s 5/8" 2/25/2019  ON
Serial: 86011943 MANUAL

WATER 73681730 09-272300 147 DANIELS PL 1.000 S 5/8" 3/15/2012 3/15/2012  ON
Serial: 73681730 MANUAL

WATER 67641502 09-272400 141 DANIELS PL 1.000 S-P 1/01/2008 3/20/2008  ON
Serial: 67641502 MANUAL 1/01/2008

WATER 90301722 09-272800 135 DANIELS PL 1.000 S 5/8" 4/13/2022  OFF
Serial: 90301722 1.000 MANUAL

WATER 67641173 09-272900 119 DANIELS PL 1.000 S-P 5/8 1/01/2008 3/20/2008  ON
Serial: 67641173 MANUAL 1/01/2008

WATER 71458501 09-273300 133 ROYAL CIR 1.000 S 5/8" 12/02/2010 12/02/2011  ON
Serial: 71458501 MANUAL

WATER 67641171 09-273400 135 ROYAL CIR 1.000 S-P 5/8 1/01/2008 3/20/2008  ON
Serial: 67641171 MANUAL 1/01/2008

WATER 80002748 09-273500 4380 S AMHERST HWY 1.000 S 5/8" 9/20/2016  ON
Serial: 80002748 MANUAL

WATER 75618633 09-273600 4382 S AMHERST HWY 1.000 s 5/8" 4/23/2015  ON
Serial: 75618633 MANUAL

WATER 82386743 09-273900 4424 S AMHERST HWY 1.000 S 5/8" 7/17/2017  ON
Serial: 82386743 MANUAL

WATER 68692099 09-274000 136 COLEMAN RD 1.000 R-P 5/8 1/01/2008 1/14/2008  ON
Serial: 68692099 MANUAL 1/01/2008

WATER 82386738 09-274300 153 COLEMAN RD 1.000 s 5/8" 7/17/2017  ON
Serial: 82386738 MANUAL

WATER 86011711 09-274301 120 COLEMAN RD 1.000 s 5/8" 7/18/2019  ON
Serial: 86011711 MANUAL

WATER 68692096 09-274305 141 COLEMAN RD 1.000 R-P 1/01/2008 1/14/2008  ON
Serial: 68692096 MANUAL 1/01/2008

WATER 68692095 09-274400 111 COLEMAN RD 1.000 R-P 5/8 1/01/2008 1/14/2008  ON
Serial: 68692095 MANUAL 1/01/2008

WATER 59295753 09-274500 4446 S AMHERST HWY 1.000 S-P 5/8" 1/01/2002 3/08/2002  OFF
Serial: 59295753 MANUAL 1/01/2002

WATER 54578723 09-274700 4448 3 AMHERST HWY 1.000 R-P 5/8 1/01/2001 8/23/2001  OFF
Serial: 54578723 MANUAL 1/01/2001

WATER 68692097 09-275100 697 DILLARD RD 1.000 R-P 5/8 1/01/2008 1/14/2008  OFF
Serial: 68692097 MANUAL 1/01/2008

WATER 71458628 09-275105 679 DILLARD RD 1.000 S-P 5/8 1/01/2010 3/29/2010  OFF

Serial: 71458628 MANUAL 1/01/2010





2/11/2026 12:41 PM METER REPORT PAGE : 83
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 09 - BOOK 09
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 80002766 09-275200 112 THOMAS RD 1.000 S 5/8" 9/28/2016  ON
Serial: 80002766 MANUAL
WATER 80003492 09-275300 118 THOMAS RD 1.000 S 5/8" 9/21/2016  ON
Serial: 80003492 MANUAL
WATER 67641006 09-275500 146 THOMAS RD 1.000 100-P 5/8 1/01/2008 1/14/2008  ON
Serial: 67641006 MANUAL 1/01/2008
WATER 80003085 09-275600 162 THOMAS RD 1.000 S 5/8" 7/07/2016 ON
Serial: 8003085 MANUAL
WATER 73681728 09-275700 164 THOMAS RD 1.000 S 5/8" 3/15/2012 3/15/2012 ON
Serial: 73681728 MANUAL
WATER 86011931 09-275800 184 THOMAS RD 1.000 s 5/8" 7/18/2019  ON
Serial: 86011931 MANUAL
WATER 82386455 09-275810 610 DILLARD RD 1.000 S 5/8" 7/17/2017  ON
Serial: 82386455 MANUAL
WATER 82386740 09-275825 208 THOMAS RD 1.000 S 5/8" 7/17/2017  ON
Serial: 82386740 MANUAL
WATER 82386741 09-275850 210 THOMAS RD 1.000 S 5/8" 7/17/2017  ON
Serial: 82386741 MANUAL
WATER 68692094 09-276000 216 THOMAS RD 1.000 R-P 5/8 1/01/2008 1/14/2008  ON
Serial: 68692094 MANUAL 1/01/2008
WATER 90301775 09-276100 222 THOMAS RD 1.000 s 5/8" 10/21/2021  ON
Serial: 90301775 MANUAL
WATER 67641004 09-276200 250 THOMAS RD 1.000 R-P 5/8 1/01/2008 4/14/2008  ON
Serial: 67641004 MANUAL 1/01/2008
WATER 68692098 09-276300 268 THOMAS RD 1.000 R-P 5/8 1/01/2008 1/14/2008  ON
Serial: 68692098 MANUAL 1/01/2008
WATER 90301774 09-276400 272 THOMAS RD 1.000 S 5/8" 10/21/2021  ON
Serial: 90301774 MANUAL
WATER 80003084 09-276500 280 THOMAS RD 1.000 S 5/8" 7/07/2016  ON
Serial: 80003084 MANUAL
WATER 80003083 09-276600 286 THOMAS RD 1.000 S 5/8" 7/07/2016 ON
Serial: 80003083 MANUAL
WATER 68691924 09-276800 308 THOMAS RD 1.000 R-P 5/8 1/01/2008 1/14/2008  ON
Serial: 68691924 MANUAL 1/01/2008
WATER 68691921 09-276900 314 THOMAS RD 1.000 R-P 5/8 1/01/2008 1/14/2008  OFF
Serial: 68691921 MANUAL 1/01/2008
WATER 68691923 09-277200 370 THOMAS RD 1.000 R-P 5/8 1/01/2008 1/14/2008  ON
Serial: 68691923 MANUAL 1/01/2008
WATER 68691920 09-277300 394 THOMAS RD 1.000 R-P 5/8 1/01/2008 1/14/2008  ON
Serial: 68691920 MANUAL 1/01/2008
WATER 82386739 09-277400 404 THOMAS RD 1.000 S 5/8" 7/17/2017  ON
Serial: 82386739 MANUAL
WATER 68691925 09-277500 410 THOMAS RD 1.000 R-P 5/8 1/01/2008 1/15/2008  ON
Serial: 68691925 MANUAL 1/01/2008
WATER 67641590 09-277600 108 BLUE BIRD LN 1.000 S-P 5/8 1/01/2007 3/09/2007  ON
Serial: 67641590 MANUAL 1/01/2007
WATER 70171624 09-277603 422 THOMAS RD 1.000 R-P 5/8 1/01/2009 4/27/2009  ON
Serial: 70171624 MANUAL 1/01/2009





2/11/2026 12:41 PM METER REPORT PAGE : 84
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT

DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes

DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999

BOOK: 09 - BOOK 09
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

70171401
70171401
70171433
70171433
67640806
67640806
67641593
67641593
86011859
86011859
67641591
67641591
90301456
90301456
54773427
54773427
82386662
82386662
67641589
67641589
66510688
66510688
67641592
67641592
67640801
67640801
70171325
70171325
67640798
67640798
86011706
86011706
86011928
86011928
10093341
100933415
60181391
60181391
60181395
60181395
90301773
90301773
84008071
84008071
84008092
84008092
75618777
75618777

09-277604

09-277700

09-277800

09-277850

09-278000

09-278200

09-278210

09-278400

09-278450

09-278600

09-278700

09-279000

09-279100

09-279200

09-279500

09-279501

09-279502

5 09-279503

09-279505

09-279509

09-279510

09-279512

09-279513

09-279514

428

THOMAS RD

THOMAS RD

BLUE BIRD LN

BLUEBIRD LN

THOMAS RD

THOMAS RD

THOMAS RD

THOMAS RD

THOMAS RD

THOMAS RD

THOMAS RD

THOMAS RD

THOMAS RD

THOMAS RD

THOMAS RD

RIVER RD

RIVER RD

RIVER RD

RIVER RD

RIVER RD

RIVER RD

RIVER RD

RIVER RD

RIVER RD

1.000
1.000
1.000

1.000
1.000
1.000

R-P
MANUAL
R-P
MANUAL
S-P
MANUAL
S-P
MANUAL
S
MANUAL
S-P
MANUAL
S
MANUAL
R-P
MANUAL
S
MANUAL
S-P
MANUAL
S-P
MANUAL
S-P
MANUAL
S-P
MANUAL
R-P
MANUAL
S-P
MANUAL
S
MANUAL
S
MANUAL
S-IPRL
MANUAL
S-P
MANUAL

MANUAL

MANUAL

MANUAL

MANUAL

S
MANUAL

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

1/01/2009

1/01/2009

1/01/2007

1/01/2007

1/01/2007

1/01/1998

1/01/2007

1/01/2006

1/01/2007

1/01/2007

1/01/2009

1/01/2007

1/01/2004

6/06/2018

4/27/2009
1/01/2009
4/27/2009
1/01/2009
3/09/2007
1/01/2007
3/09/2007
1/01/2007
9/26/2019

3/09/2007
1/01/2007
10/18/2023

2/24/1999
1/01/1998
7/17/2017

3/09/2007
1/01/2007
9/05/2006
1/01/2006
3/09/2007
1/01/2007
3/09/2007
1/01/2007
9/30/2009
1/01/2009
3/09/2007
1/01/2007
7/24/2019

7/24/2019

9/05/2025

9/01/2004

1/01/2004

12/30/2000

10/21/2021

3/26/2018

6/05/2018

3/24/2015

ON

ON
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OFF

ON

ON

ON

ON





2/11/2026 12:41 PM METER REPORT PAGE : 85
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT

DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes

DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999

BOOK: 09 - BOOK 09
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 84008068 09-279517 430 RIVER RD 1.000 S 5/8" 3/26/2018  ON
Serial: 84008068 MANUAL

WATER 84007947 09-279518 448 RIVER RD 1.000 s 5/8" 7/31/2018  ON
Serial: 84007947 MANUAL

WATER 70171626 09-279524 837 THOMAS RD 1.000 R-P 5/8 1/01/2009 4/27/2009  ON
Serial: 70171626 MANUAL 1/01/2009

WATER 67640802 09-279525 839 THOMAS RD 1.000 S-P 5/8 1/01/2007 3/12/2007  ON
Serial: 67640802 MANUAL 1/01/2007

WATER 80003081 09-279600 817 THOMAS RD 1.000 s 5/8" 7/07/2016  ON
Serial: 80003081 MANUAL

WATER 67640799 09-279700 783 THOMAS RD 1.000 S-P 5/8 1/01/2007 3/12/2007  ON
Serial: 67640799 MANUAL 1/01/2007

WATER 67640800 09-279800 771 THOMAS RD 1.000 S-P 5/8 1/01/2007 3/12/2007  ON
Serial: 67640800 MANUAL 1/01/2007

WATER 67640797 09-279900 749 THOMAS RD 1.000 S-P 5/8 1/01/2007 3/12/2007  ON
Serial: 67640797 MANUAL 1/01/2007

WATER 88239841 09-279905 747 THOMAS RD 1.000 S 5/8" 12/15/2020  ON
Serial: 88239841 MANUAL

WATER 84008069 09-279950 687 THOMAS RD 1.000 S 5/8" 3/26/2018 ON
Serial: 84008069 MANUAL

WATER 67640793 09-279995 693 THOMAS RD 1.000 s-P 5/8 1/01/2007 3/23/2007  ON
Serial: 67640793 MANUAL 1/01/2007

WATER 67640855 09-280000 657 THOMAS RD 1.000 S-P 5/8 1/01/2007 3/12/2007 ON
Serial: 67640855 MANUAL 1/01/2007

WATER 67640852 09-280100 655 THOMAS RD 1.000 S-P 5/8 1/01/2007 3/12/2007  ON
Serial: 67640852 MANUAL 1/01/2007

WATER 72853785 09-280200 643 THOMAS RD 1.000 S 5/8" 3/28/2013  ON
Serial: 72853785 MANUAL

WATER 64640853 09-280202 633 THOMAS RD 1.000 S-P 5/8 1/01/2007 3/12/2007  ON
Serial: 64640853 MANUAL 1/01/2007

WATER 67640856 09-280203 623 THOMAS RD 1.000 S-P 5/8 1/01/2007 3/12/2007  ON
Serial: 67640856 MANUAL 1/01/2007

WATER 70171555 09-280210 577 THOMAS RD 1.000 R-P 1/01/2009 4/27/2009  ON
Serial: 70171555 MANUAL 1/01/2009

WATER 67640854 09-280300 563 THOMAS RD 1.000 S-P 5/8 1/01/2007 3/12/2007 ON
Serial: 67640854 MANUAL 1/01/2007

WATER 70171223 09-280305 543 THOMAS RD 1.000 R-P 5/8 1/01/2009 4/27/2009  ON
Serial: 70171223 MANUAL 1/01/2009

WATER 73988041 09-280400 509 THOMAS RD 1.000 S 5/8" 3/15/2012 3/15/2012  ON
Serial: 73988041 MANUAL

WATER 86011913 09-280510 509 THOMAS RD 1.000 S 5/8" 7/02/2019  ON
Serial: 86011913 MANUAL

WATER 67641483 09-280600 471 THOMAS RD 1.000 S-P 5/8 1/01/2008 2/25/2008  ON
Serial: 67641483 MANUAL 1/01/2008

WATER 67640780 09-280800 465 THOMAS RD 1.000 s-P 5/8 1/01/2007 3/13/2007  ON
Serial: 67640780 MANUAL 1/01/2007

WATER 80002749 09-280900 451 THOMAS RD 1.000 S 5/8" 9/20/2016  ON
Serial: 80002749 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 86
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 09 - BOOK 09
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 67641642 09-281000 441 THOMAS RD 1.000 R-P 5/8 1/01/2009 4/27/2009  OFF
Serial: 67641642 MANUAL 1/01/2009
WATER 70171518 09-281100 429 THOMAS RD 1.000 R-P 5/8 1/01/2009 7/27/2009  ON
Serial: 70171518 MANUAL 1/01/2009
WATER 67640783 09-281200 387 THOMAS RD 1.000 S-P 5/8 1/01/2007 3/13/2007  ON
Serial: 67640783 MANUAL 1/01/2007
WATER 54578660 09-281210 373 THOMAS RD 1.000 S-P 5/8 1/01/2001 0/00/2000  ON
Serial: 54578660 MANUAL 1/01/2001
WATER 86011912 09-281220 375 THOMAS RD 1.000 s 5/8" 7/02/2019  ON
Serial: 86011912 MANUAL

WATER 71458510 09-281300 357 THOMAS RD 1.000 S 5/8" 3/11/2011 ON
Serial: 71458510 MANUAL

WATER 58881522 09-281400 353 THOMAS RD 1.000 S-P 5/8 1/01/2001 0/00/2000  ON
Serial: 58881522 MANUAL 1/01/2001

WATER 80002746 09-281500 347 THOMAS RD 1.000 S 5/8" 9/20/2016  ON
Serial: 80002746 MANUAL

WATER 80002744 09-281600 343 THOMAS RD 1.000 S 5/8" 9/21/2016  ON
Serial: 80002744 MANUAL

WATER 67640779 09-281700 339 THOMAS RD 1.000 S-P 5/8 1/01/2007 3/13/2007  ON
Serial: 67640779 MANUAL 1/01/2007

WATER 80002747 09-281705 331 THOMAS RD 1.000 S 5/8" 9/20/2016  ON
Serial: 80002747 MANUAL

WATER 66214240 09-281706 327 THOMAS RD 1.000 S-P 5/8 1/01/2006 3/08/2006  ON
Serial: 66214240 MANUAL 1/01/2006

WATER 73987776 09-281720 317 THOMAS RD 1.000 S 5/8" 7/05/2012  OFF
Serial: 73987776 1.000 MANUAL

WATER 82386660 09-282000 305 THOMAS RD 1.000 S 5/8" 7/17/2017  ON
Serial: 82386660 MANUAL

WATER 80002745 09-282100 303 THOMAS RD 1.000 S 5/8" 9/20/2016  ON
Serial: 80002745 MANUAL

WATER 73988036 09-282200 289 THOMAS RD 1.000 s 5/8" 3/15/2012 3/15/2012  ON
Serial: 73988036 MANUAL

WATER 67640782 09-282300 269 THOMAS RD 1.000 S-P 5/8 1/01/2007 3/13/2007  ON
Serial: 67640782 MANUAL 1/01/2007

WATER 70171183 09-282400 259 THOMAS RD 1.000 R-P 5/8 1/01/2009 9/23/2009  ON
Serial: 70171183 MANUAL 1/01/2009

WATER 82386661 09-282600 227 THOMAS RD 1.000 S 5/8" 7/17/2017  ON
Serial: 82386661 MANUAL

WATER 90301809 09-282700 221 THOMAS RD 1.000 S 5/8" 2/15/2022  ON
Serial: 90301809 MANUAL

WATER 82386451 09-282800 215 THOMAS RD 1.000 S 5/8" 7/17/2017  ON
Serial: 82386451 MANUAL

WATER 70171517 09-282801 209 THOMAS RD A 1.000 R-P 5/8 1/01/2009 4/27/2009  ON
Serial: 70171517 MANUAL 1/01/2009

WATER 70171520 09-282802 209 THOMAS RD B 1.000 S-P 5/8 1/01/2009 4/27/2009  ON
Serial: 70171520 MANUAL 1/01/2009

WATER 67640784 09-282900 191 THOMAS RD 1.000 S-P 5/8 1/01/2007 3/13/2007  ON
Serial: 67640784 MANUAL 1/01/2007





2/11/2026 12:41 PM METER REPORT PAGE : 87

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 09 - BOOK 09

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 67640781 09-283000 181 THOMAS RD 1.000 S-P 5/8 1/01/2007 3/13/2007  ON
Serial: 67640781 MANUAL 1/01/2007

WATER 80003108 09-283100 179 THOMAS RD 1.000 S 5/8" 9/20/2016  ON
Serial: 80003108 MANUAL

WATER 80003387 09-283200 171 THOMAS RD 1.000 S 5/8" 9/21/2016  ON
Serial: 80003387 MANUAL

WATER 67640864 09-283300 163 THOMAS RD 1.000 s-P 5/8 1/01/2007 3/13/2007  ON
Serial: 67640864 MANUAL 1/01/2007

WATER 67640867 09-283305 155 THOMAS RD 1.000 s-P 5/8 1/01/2007 3/13/2007  ON
Serial: 67640867 MANUAL 1/01/2007

WATER 80003109 09-283400 147 THOMAS RD 1.000 S 5/8" 9/20/2016  ON
Serial: 80003109 MANUAL

WATER 73988037 09-283500 133 THOMAS RD 1.000 S 5/8" 3/15/2012 3/15/2012  OFF
Serial: 73988037 1.000 MANUAL

WATER 70171417 09-283710 704 DILLARD RD 1.000 S-P 5/8 1/01/2009 2/24/2009  ON
Serial: 70171417 MANUAL 1/01/2009

WATER 75618624 09-284700 4598 S AMHERST HWY 1.000 S 5/8" 3/24/2015  ON
Serial: 75618624 MANUAL

WATER 80003471 09-285100 126 MCGANN RD 1.000 S 5/8" 9/21/2016  ON
Serial: 80003471 MANUAL

WATER 67640866 09-285200 146 MCGANN RD 1.000 S-P 5/8 1/01/2007 3/13/2007  ON
Serial: 67640866 MANUAL 1/01/2007

WATER 60181497 09-285300 160 MCGANN RD 1.000 S-P 5/8 1/01/2009 11/04/2009 ON
Serial: 60181497 MANUAL 1/01/2009

WATER 65691795 09-285301 162 MCGANN RD 1.000 S-P 5/8 1/01/2009 11/04/2009 ON
Serial: 65691795 MANUAL 1/01/2009

WATER 86011743 09-285400 157 MCGANN RD 1.000 S 5/8" 7/22/2019  ON
Serial: 86011743 MANUAL

WATER 72853805 09-285500 147 MCGANN RD 1.000 S 5/8" 3/28/2013  ON
Serial: 72853805 MANUAL

WATER 67640865 09-285700 135 MCGANN RD 1.000 S-P 5/8 1/01/2007 3/14/2007  ON
Serial: 67640865 MANUAL 1/01/2007

WATER 86011941 09-285800 131 MCGANN RD 1.000 s 5/8" 2/25/2019  ON
Serial: 86011941 MANUAL

WATER 82386450 09-286000 4626 S AMHERST HWY 1.000 s 5/8" 12/18/2017  ON
Serial: 82386450 MANUAL

WATER 59660714 09-286200 4628 S AMHERST HWY 1.000 R-P 1/01/2002 4/29/2002  ON
Serial: 59660714 MANUAL 1/01/2002

WATER 75618573 09-286400 4652 S AMHERST HWY 1.000 S 5/8" 12/29/2015  OFF
Serial: 75618573 1.000 MANUAL

WATER 96689011 09-286600 4660 S AMHERST HWY 1.000 S 5/8" 12/17/2024  ON
Serial: 96689011 MANUAL

WATER 68692071 09-287300 120 WOODVUE DR 1.000 R-P 5/8 1/01/2008 1/15/2008  ON
Serial: 68692071 MANUAL 1/01/2008

WATER 68692074 09-287301 126 WOODVUE DR 1.000 R-P 5/8 1/01/2008 1/15/2008  ON
Serial: 68692074 MANUAL 1/01/2008

WATER 70171425 09-287310 150 WOODVUE DR 1.000 S-P 5/8 1/01/2009 3/30/2009  ON

Serial: 70171425 MANUAL 1/01/2009
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DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 09 - BOOK 09

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 90301708 09-287400 158 WOODVUE DR 1.000 S 5/8" 6/13/2023  ON
Serial: 90301708 MANUAL

WATER 68692072 09-287500 170 WOODVUE DR 1.000 R-P 5/8 1/01/2008 1/15/2008  ON
Serial: 68692072 MANUAL 1/01/2008

WATER 82386453 09-287600 178 WOODVUE DR 1.000 S 5/8" 7/18/2017  ON
Serial: 82386453 MANUAL

WATER 90301604 09-287700 186 WOODVUE DR 1.000 s 5/8" 2/15/2022  ON
Serial: 90301604 MANUAL

WATER 68692070 09-287800 192 WOODVUE DR 1.000 R-P 5/8 1/01/2008 1/15/2008  ON
Serial: 68692070 MANUAL 1/01/2008

WATER 80003104 09-287805 193 WOODVUE DR 1.000 s 5/8" 9/20/2016  ON
Serial: 80003104 MANUAL

WATER 80003105 09-287810 140 CEDAR ST 1.000 S 5/8" 9/20/2016  ON
Serial: 80003105 MANUAL

WATER 80003106 09-287900 108 CEDAR ST 1.000 S 5/8" 9/20/2016  ON
Serial: 80003106 MANUAL

WATER 80002885 09-288100 175 WOODVUE DR 1.000 S 5/8" 2/09/2017  ON
Serial: 80002885 MANUAL

WATER 80003107 09-288200 171 WOODVUE DR 1.000 S 5/8" 9/20/2016  ON
Serial: 80003107 MANUAL

WATER 80003516 09-288300 163 WOODVUE DR 1.000 S 5/8" 9/20/2016 ON
Serial: 80003516 MANUAL

WATER 82386633 09-288400 157 WOODVUE DR 1.000 S 5/8" 5/15/2017 ON
Serial: 82386633 MANUAL

WATER 80003517 09-288500 149 WOODVUE DR 1.000 S 5/8" 9/20/2016  ON
Serial: 80003517 MANUAL

WATER 68692077 09-288600 135 WOODVUE DR 1.000 R-P 5/8 1/01/2008 1/15/2008  ON
Serial: 68692077 MANUAL 1/01/2008

WATER 68692080 09-288700 127 WOODVUE DR 1.000 R-P 1/01/2008 1/15/2008  ON
Serial: 68692080 MANUAL 1/01/2008

WATER 73987837 09-289900 128 GROVE AVE 1.000 S 5/8" 3/15/2012 3/15/2012  ON
Serial: 73987837 MANUAL

WATER 70171459 09-290000 130 GROVE AVE 1.000 R-P 5/8 1/01/2009 7/30/2009  ON
Serial: 70171459 MANUAL 1/01/2009

WATER 68692081 09-290100 140 GROVE AVE 1.000 R-P 5/8 1/01/2008 1/16/2008  ON
Serial: 68692081 MANUAL 1/01/2008

WATER 68692076 09-290200 152 GROVE AVE 1.000 R-P 5/8 1/01/2008 1/16/2008  ON
Serial: 68692076 MANUAL 1/01/2008

WATER 68692079 09-290300 160 GROVE AVE 1.000 R-P 5/8 1/01/2008 1/16/2008  ON
Serial: 68692079 MANUAL 1/01/2008

WATER 73988038 09-290400 115 OAKHILL DR 1.000 S 5/8" 3/01/2012  ON
Serial: 73988038 MANUAL

WATER 80003514 09-290500 148 GROVE AVE 1.000 S 5/8" 9/20/2016  ON
Serial: 80003514 MANUAL

WATER 80003512 09-290600 142 GROVE AVE 1.000 S 5/8" 9/20/2016  ON
Serial: 80003512 MANUAL

WATER 80003513 09-290700 100 OAKHILL DR 1.000 S 5/8" 9/20/2016  ON

Serial: 80003513 MANUAL
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DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 09 - BOOK 09

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 80003515 09-290800 102 OAKHILL DR 1.000 S 5/8" 9/20/2016  ON
Serial: 80003515 MANUAL

WATER 80002616 09-290900 110 OAKHILL DR 1.000 s 5/8" 9/20/2016  ON
Serial: 80002616 MANUAL

WATER 82386686 09-291000 118 OAKHILL DR 1.000 S 5/8" 7/20/2017  ON
Serial: 82386686 MANUAL

WATER 67640730 09-291100 120 OAKHILL DR 1.000 S-P 5/8 1/01/2007 3/14/2007  ON
Serial: 67640730 MANUAL 1/01/2007

WATER 80002617 09-291200 130 OAKHILL DR 1.000 S 5/8" 9/20/2016  ON
Serial: 80002617 MANUAL

WATER 72853758 09-291205 137 OAKHILL DR 1.000 S 5/8" 3/28/2013 ON
Serial: 72853758 MANUAL

WATER 80002613 09-291300 131 OAKHILL DR 1.000 S 5/8" 9/20/2016  ON
Serial: 80002613 MANUAL

WATER 84008015 09-291400 127 OAKHILL DR 1.000 s 5/8" 3/28/2018  ON
Serial: 84008015 MANUAL

WATER 80002612 09-291500 176 GROVE AVE 1.000 S 5/8" 9/20/2016  ON
Serial: 80002612 MANUAL

WATER 90301714 09-291510 188 GROVE AVE 1.000 s 5/8" 12/07/2022  ON
Serial: 90301714 MANUAL

WATER 80002614 09-291515 194 GROVE AVE 1.000 S 5/8" 9/20/2016  ON
Serial: 80002614 MANUAL

WATER 67640868 09-291600 212 GROVE AVE 1.000 S-P 5/8 1/01/2007 3/14/2007  ON
Serial: 67640868 MANUAL 1/01/2007

WATER 71458626 09-291605 139 CEDAR ST 1.000 S-P 5/8 1/01/2010 3/29/2010  ON
Serial: 71458626 MANUAL 1/01/2010

WATER 67640729 09-291610 103 CEDAR ST 1.000 S-P 5/8 1/01/2007 3/14/2007  ON
Serial: 67640729 MANUAL 1/01/2007

WATER 90301765 09-291700 226 GROVE AVE 1.000 S 5/8" 10/13/2021  ON
Serial: 90301765 MANUAL

WATER 68692078 09-291800 236 GROVE AVE 1.000 R-P 5/8 1/01/2008 1/16/2008  ON
Serial: 68692078 MANUAL 1/01/2008

WATER 96688970 09-291803 243 GROVE AVE 1.000 S-IPRL  5/8" 2/27/2025  ON
Serial: 96688970 MANUAL

WATER 67640727 09-291805 254 GROVE AVE 1.000 S-P 5/8 1/01/2007 3/14/2007  ON
Serial: 67640727 MANUAL 1/01/2007

WATER 59295912 09-291810 260 MAYS ST B 1.000 R-P 5/8 1/01/2001 7/29/2002  ON
Serial: 59295912 MANUAL 1/01/2001

WATER 82386454 09-291811 260 MAYS ST A 1.000 S 5/8" 7/18/2017  ON
Serial: 82386454 MANUAL

WATER 82386452 09-291812 264 MAYS ST DUPLEX A & B 1.000 S 5/8" 7/18/2017  ON
Serial: 82386452 MANUAL

WATER 82386461 09-292000 114 EDGEWOOD LN 1.000 s 5/8" 7/18/2017  ON
Serial: 82386461 MANUAL

WATER 70171457 09-292200 130 EDGEWOOD LN 1.000 R-P 5/8 1/01/2009 4/30/2009  ON
Serial: 70171457 MANUAL 1/01/2009

WATER 70171460 09-292300 134 EDGEWOOD LN 1.000 R-P 5/8 1/01/2009 4/30/2009  ON

Serial: 70171460 MANUAL 1/01/2009





2/11/2026 12:41 PM

DT PURCHSED:
DT INSTALL:
DT REPAIR:
DT TESTED:
BOOK:

0/00/0000 TO 99/99/9999
1/01/1900 TO 2/11/2026
0/00/0000 TO 99/99/9999
0/00/0000 TO 99/99/9999
09 - BOOK 09

————— SERVICE

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID--

MET

ADDRESS
---DMD

E R REPORT

—————— -SCALE--
MXU--- -DSCALE-

--MAKE--
--TYPE--

PAGE : 90
SEQ :ACCOUNT

SIZE :All Sizes
MAKE :All Makes

-INSTALL DATE-
--TESTED DATE-- STAT

WATER

Serial:

WATER

Serial:

68692005 09-292305 142 EDGEWOOD LN

68692005

82386460 09-292400 137 EDGEWOOD LN

82386460

R-P
MANUAL
S
MANUAL

--SIZE--- -PURCHASE DATE-
--PRICE-- --REPAIR DATE--
5/8 1/01/2008
5/8"

1/16/2008 ON
1/01/2008
7/18/2017 ON





2/11/2026 12:41 PM METER REPORT PAGE : 91

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 10 - BOOK 10

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 89570864 10-310000 148 WOODYS LAKE RD 1.000 s 5/8" 1/27/2021 ON
Serial: 89570864 MANUAL

WATER 87142707 10-310200 196 WOODYS LAKE RD 1.000 S 5/8" 1/27/2021 ON
Serial: 87142707 MANUAL

WATER 87142703 10-310300 202 WOODYS LAKE RD 1.000 s 5/8" 1/27/2021 ON
Serial: 87142703 MANUAL

WATER 87142708 10-310400 210 WOODYS LAKE RD 1.000 S 5/8" 1/27/2021 ON
Serial: 87142708 MANUAL

WATER 87142705 10-310405 216 WOODYS LAKE RD 1.000 s 5/8" 1/27/2021  ON
Serial: 87142705 MANUAL

WATER 87142704 10-310500 234 WOODYS LAKE RD 1.000 s 5/8" 1/27/2021  ON
Serial: 87142704 MANUAL

WATER 87142706 10-310600 244 WOODYS LAKE RD 1.000 s 5/8" 1/27/2021 ON
Serial: 87142706 MANUAL

WATER 96688961 10-310610 142 TROJAN RD 1.000 S-IPRL 5/8" 3/13/2025 ON
Serial: 96688961 MANUAL

WATER 87142670 10-310800 272 WOODYS LAKE RD 1.000 s 5/8" 1/27/2021 ON
Serial: 87142670 MANUAL

WATER 87142668 10-310900 286 WOODYS LAKE RD 1.000 S 5/8" 1/27/2021 ON
Serial: 87142668 MANUAL

WATER 87142667 10-311000 292 WOODYS LAKE RD 1.000 s 5/8" 1/27/2021  ON
Serial: 87142667 MANUAL

WATER 87142671 10-311100 316 WOODYS LAKE RD 1.000 s 5/8" 1/27/2021  ON
Serial: 87142671 MANUAL

WATER 87142669 10-311200 328 WOODYS LAKE RD 1.000 s 5/8" 1/27/2021 ON
Serial: 87142669 MANUAL

WATER 89570865 10-311250 352 WOODYS LAKE RD 1.000 s 5/8" 1/27/2021 ON
Serial: 89570865 MANUAL

WATER 89570866 10-311260 340 WOODYS LAKE RD 1.000 s 5/8" 1/27/2021 ON
Serial: 89570866 MANUAL

WATER 89570867 10-311300 360 WOODYS LAKE RD 1.000 S 5/8" 1/27/2021 ON
Serial: 89570867 MANUAL

WATER 89570868 10-311400 370 WOODYS LAKE RD 1.000 S 5/8" 1/27/2021 ON
Serial: 89570868 MANUAL

WATER 89570840 10-311500 376 WOODYS LAKE RD 1.000 s 5/8" 1/27/2021  ON
Serial: 89570840 MANUAL

WATER 89570839 10-311600 380 WOODYS LAKE RD 1.000 s 5/8" 1/27/2021 ON
Serial: 89570839 MANUAL

WATER 89570838 10-311700 406 WOODYS LAKE RD 1.000 s 5/8" 1/27/2021 ON
Serial: 89570838 MANUAL

WATER 96689018 10-311725 416 WOODYS LAKE RD 1.000 s 5/8" 10/31/2024 ON
Serial: 96689018 MANUAL

WATER 60181487 10-311750 430 WOODYS LAKE RD 1.000 S-P 5/8 1/01/2003 0/00/2000  ON
Serial: 60181487 MANUAL 1/01/2003

WATER 82386689 10-311800 436 WOODYS LAKE RD 1.000 S 5/8" 7/18/2017 ON
Serial: 82386689 MANUAL

WATER 59295976 10-312000 472 WOODYS LAKE RD 1.000 R-P 5/8 1/01/2002 0/00/2000  ON

Serial: 59295976 MANUAL 1/01/2002





2/11/2026 12:41 PM REPORT PAGE : 92
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 10 - BOOK 10
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 70171610 10-312005 478 WOODYS LAKE RD 1.000 R-P 5/8 1/01/2009 5/19/2009  ON
Serial: 70171610 MANUAL 1/01/2009
WATER 82386688 10-312010 453 WOODYS LAKE RD 1.000 S 5/8" 7/18/2017  ON
Serial: 82386688 MANUAL

WATER 90301797 10-312020 479 WOODYS LAKE RD 1.000 S 5/8" 6/15/2022  ON
Serial: 90301797 MANUAL

WATER 75618855 10-312101 295 TODD LN 1.000 s 5/8" 2/06/2014  ON
Serial: 75618855 MANUAL

WATER 75618853 10-312102 289 TODD LN 1.000 s 5/8" 2/06/2014  ON
Serial: 75618853 MANUAL

WATER 73987916 10-312103 283 TODD LN 1.000 s 5/8" 10/26/2012  ON
Serial: 73987916 MANUAL

WATER 73681677 10-312104 275 TODD LN 1.000 S 5/8" 8/06/2013  ON
Serial: 73681677 MANUAL

WATER 90301596 10-312105 271 TODD LN 1.000 S 5/8" 6/07/2024  ON
Serial: 90301596 MANUAL

WATER 90301560 10-312106 269 TODD LN 1.000 S 5/8" 8/01/2024  ON
Serial: 90301560 MANUAL

WATER 72853910 10-312107 265 TODD LN 1.000 S 5/8" 9/29/2011  ON
Serial: 72853910 MANUAL

WATER 73681679 10-312108 259 TODD LN 1.000 S 5/8" 8/12/2013 ON
Serial: 73681679 MANUAL

WATER 70171214 10-312109 253 TODD LN 1.000 S-P 5/8 1/01/2009 11/18/2009  ON
Serial: 70171214 MANUAL

WATER 72853891 10-312110 254 TODD LN 1.000 S 5/8" 1/17/2012  ON
Serial: 72853891 MANUAL

WATER 90301555 10-312111 260 TODD LN 1.000 S 5/8" 8/02/2024  ON
Serial: 90301555 MANUAL

WATER 73681829 10-312112 264 TODD LN 1.000 S 5/8" 10/23/2012  ON
Serial: 73681829 MANUAL

WATER 70171388 10-312114 269 STRATFORD PL 1.000 S-P 5/8 1/01/2000 6/04/1990  ON
Serial: 70171388 MANUAL 1/01/2000

WATER 68691883 10-312115 263 STRATFORD PL 1.000 S-P 5/8 1/01/2009 3/18/2009  ON
Serial: 68691883 MANUAL 1/01/2009

WATER 72853893 10-312116 261 STRATFORD PL 1.000 s 5/8" 1/17/2012  ON
Serial: 72853893 MANUAL

WATER 73681740 10-312117 255 STRATFORD PL 1.000 S 5/8" 5/08/2013  ON
Serial: 73681740 MANUAL

WATER 70171377 10-312118 243 STRATFORD PL 1.000 S-P 5/8 1/01/2009 8/11/2009  ON
Serial: 70171377 MANUAL

WATER 71032015 10-312119 239 STRATFORD PL 1.000 S 5/8" 8/26/2010  ON
Serial: 71032015 MANUAL

WATER 73681810 10-312120 235 STRATFORD PL 1.000 S 5/8" 8/01/2012 ON
Serial: 73681810 MANUAL

WATER 73681812 10-312121 229 STRATFORD PL 1.000 S 5/8" 8/01/2012 ON
Serial: 73681812 MANUAL

WATER 68691765 10-312122 219 STRATFORD PL 1.000 S-P 5/8 1/01/2009 3/30/2009  ON
Serial: 68691765 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 93

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 10 - BOOK 10

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 71032122 10-312123 217 STRATFORD PL 1.000 s-P 1/01/2010 3/23/2010  ON
Serial: 71032122 MANUAL

WATER 68691880 10-312124 209 STRATFORD PL 1.000 S-P 5/8 1/01/2009 5/08/2009  ON
Serial: 68691880 MANUAL

WATER 73681809 10-312125 203 STRATFORD PL 1.000 S 5/8" 8/01/2012  ON
Serial: 73681809 MANUAL

WATER 80003234 10-312130 171 STRATFORD PL 1.000 S 5/8" 9/14/2017  ON
Serial: 80003234 MANUAL

WATER 82386261 10-312131 165 STRATFORD PL 1.000 S 5/8" 6/26/2017  ON
Serial: 82386261 MANUAL

WATER 80003436 10-312132 161 STRATFORD PL 1.000 S 5/8" 6/26/2017  ON
Serial: 80003436 MANUAL

WATER 80002652 10-312133 155 STRATFORD PL 1.000 S 5/8" 5/03/2017  ON
Serial: 80002652 MANUAL

WATER 96689081 10-312134 151 STRATFORD PL 1.000 s 5/8" 5/30/2025  ON
Serial: 96689081 MANUAL

WATER 80003486 10-312135 147 STRATFORD PL 1.000 S 5/8" 5/03/2017  ON
Serial: 80003486 MANUAL

WATER 75618617 10-312136 141 STRATFORD PL 1.000 s 5/8" 7/17/2015  ON
Serial: 75618617 MANUAL

WATER 73988009 10-312137 133 STRATFORD PL 1.000 s 5/8" 2/09/2015  ON
Serial: 73988007 MANUAL

WATER 75618614 10-312138 127 STRATFORD PL 1.000 s 5/8" 7/17/2015  ON
Serial: 75618614 MANUAL

WATER 75618635 10-312139 119 STRATFORD PL 1.000 S 5/8" 10/21/2015  ON
Serial: 75618635 MANUAL

WATER 800003364 10-312144 148 STRATFORD PL 1.000 s 5/8" 2/09/2017  ON
Serial: 80003364 MANUAL

WATER 80003501 10-312145 158 STRATFORD PL 1.000 S 5/8" 10/19/2016 10/19/2016  ON
Serial: 80003501 MANUAL

WATER 80002882 10-312146 162 STRATFORD PL 1.000 s 5/8" 4/11/2016  ON
Serial: 80002882 MANUAL

WATER 80002886 10-312147 168 STRATFORD PL 1.000 s 5/8" 4/11/2016  ON
Serial: 80002886 MANUAL

WATER 80002883 10-312148 174 STRATFORD PL 1.000 S 5/8" 8/10/2016 8/19/2016  ON
Serial: 80002883 MANUAL

WATER 80002819 10-312149 182 STRATFORD PL 1.000 S 5/8" 8/01/2016 8/19/2016  ON
Serial: 80002819 MANUAL

WATER 80002821 10-312150 188 STRATFORD PL 1.000 S 5/8" 8/01/2016 8/19/2016  ON
Serial: 80002821 MANUAL

WATER 80002931 10-312151 192 STRATFORD PL 1.000 S 5/8" 8/10/2016 8/19/2016  ON
Serial: 80002931 MANUAL

WATER 80003362 10-312152 198 STRATFORD PL 1.000 S 5/8" 12/28/2016 2/09/2017  ON
Serial: 80003362 MANUAL

WATER 71458506 10-312153 204 STRATFORD PL 1.000 s 5/8" 12/06/2010  ON
Serial: 71458506 MANUAL

WATER 80002937 10-312154 208 STRATFORD PL 1.000 S 5/8" 3/03/2016  ON

Serial: 80002937 MANUAL





2/11/2026 12:41 PM

DT PURCHSED:
DT INSTALL:
DT REPAIR:
DT TESTED:
BOOK:

0/00/0000 TO 99/99/9999
1/01/1900 TO 2/11/2026
0/00/0000 TO 99/99/9999
0/00/0000 TO 99/99/9999
10 - BOOK 10

- METER GROUP - METER NO# ACCOUNT NO#

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

METER REPORT PAGE :
SEQ :ACCOUNT
SIZE :All Sizes
MAKE :All Makes
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
--MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
214 STRATFORD PL 1.000 S-P 5/8 1/01/2010 2/17/2010  ON
MANUAL
218 STRATFORD PL 1.000 S 5/8" 8/30/2023  ON
MANUAL
226 STRATFORD PL 1.000 S 5/8" 9/12/2011 10/13/2011  ON
MANUAL
232 STRATFORD PL 1.000 S 5/8" 11/18/2013  ON
MANUAL
238 STRATFORD PL 1.000 S-P 5/8 1/01/2010 4/26/2010  ON
MANUAL
250 STRATFORD PL 1.000 S 5/8" 11/13/2013 ON
MANUAL
258 STRATFORD PL 1.000 s 5/8" 11/13/2013  ON
MANUAL
288 TODD LN 1.000 S 5/8" 10/16/2012  ON
MANUAL
292 TODD LN 1.000 S 5/8" 10/23/2012  ON
MANUAL
300 TODD LN 1.000 S 5/8" 8/26/2010  ON
MANUAL
304 TODD LN 1.000 S 5/8" 1/26/2012  ON
MANUAL
439 WOODYS LAKE RD 1.000 S 5/8" 6/28/2017  ON
MANUAL
431 WOODYS LAKE RD 1.000 s 5/8" 10/17/2019  ON
MANUAL
429 WOODYS LAKE RD 1.000 S 5/8" 7/18/2017  ON
MANUAL
415 WOODYS LAKE RD 1.000 S 5/8" 9/20/2016  ON
MANUAL
114 ODINS BOW DR 1.000 S 5/8" 2/17/2021  ON
MANUAL
403 WOODYS LAKE RD 1.000 s 5/8" 1/27/2021  ON
MANUAL
124 ODINS BOW DR 1.000 S 5/8" 4/25/2013  ON
MANUAL
130 ODINS BOW DR 1.000 s 5/8" 3/16/2012 3/16/2012  ON
MANUAL
116 LANCE LN 1.000 S 5/8" 6/20/2023  ON
MANUAL
122 LANCE LN 1.000 S 5/8" 8/23/2013  ON
MANUAL
123 LANCE LN 1.000 S 5/8" 8/23/2013  ON
MANUAL
146 ODINS BOW DR 1.000 S 5/8" 8/23/2013  ON
MANUAL
154 ODINS BOW DR 1.000 S 5/8" 8/23/2013  ON
MANUAL

Serial:

71032114 10-312155
71032114

90301463 10-312156
90301463

72853912 10-312157
72853912

75618808 10-312158
75618808

71032049 10-312159
71032049

75618816 10-312160
75618816

75618819 10-312161
75618819

73987919 10-312162
73987919

73987918 10-312163
73987918

71458529 10-312164
71458529

72853889 10-312165
72853889

82386695 10-312200
82386695

86011886 10-312300
86011886

82386685 10-312400
82386685

80002683 10-312500
80002683

89570852 10-312502
89570852

89570836 10-312505
89570836

73681676 10-312510
73681676

73681726 10-312511
73681726

90301476 10-312512
90301476

75618799 10-312513
75618799

75618801 10-312514
75618801

75618796 10-312515
75618796

75618800 10-312516
75618800





2/11/2026 12:41 PM METER REPORT PAGE : 95
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 10 - BOOK 10
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 70171452 10-312517 162 ODINS BOW DR 1.000 R-P 5/8 1/01/2009 5/19/2009  ON
Serial: 70171452 MANUAL 1/01/2009
WATER 96689014 10-312518 168 ODINS BOW DR 1.000 S 5/8" 12/20/2024  ON
Serial: 96689014 MANUAL

WATER 73987754 10-312519 176 ODINS BOW DR 1.000 S 5/8" 3/20/2012 3/16/2012  ON
Serial: 73987754 MANUAL

WATER 75618849 10-312520 184 ODINS BOW DR 1.000 S 5/8" 8/09/2013  ON
Serial: 75618849 MANUAL

WATER 70171449 10-312521 186 ODINS BOW DR 1.000 R-P 5/8 1/01/2009 5/19/2009  ON
Serial: 70171449 MANUAL 1/01/2009

WATER 75618771 10-312522 194 ODINS BOW DR 1.000 S 5/8" 6/25/2013  ON
Serial: 75618771 MANUAL

WATER 71458634 10-312523 202 ODINS BOW DR 1.000 S-P 5/8 1/01/2010 3/29/2010  ON
Serial: 71458634 MANUAL 1/01/2010

WATER 71458561 10-312524 218 ODINS BOW DR 1.000 S 5/8" 8/26/2010  ON
Serial: 71458561 MANUAL

WATER 75618847 10-312525 242 ODINS BOW DR 1.000 S 5/8" 8/23/2013  ON
Serial: 75618847 MANUAL

WATER 53767144 10-312526 252 ODINS BOW DR 1.000 S-P 5/8 1/01/1997 0/00/2000  ON
Serial: 53767144 MANUAL 1/01/1997

WATER 68692032 10-312527 122 THORS CLUB DR 1.000 R-P 5/8 1/01/2008 1/16/2008  ON
Serial: 68692032 MANUAL 1/01/2008

WATER 86011745 10-312528 126 THORS CLUB DR 1.000 s 5/8" 7/22/2019  ON
Serial: 86011745 MANUAL

WATER 75618769 10-312529 123 THORS CLUB DR 1.000 S 5/8" 6/25/2013  ON
Serial: 75618769 MANUAL

WATER 73987757 10-312530 264 ODINS BOW DR 1.000 S 5/8" 3/20/2012 3/20/2012  ON
Serial: 73987757 MANUAL

WATER 75618844 10-312531 272 ODINS BOW DR 1.000 S 5/8" 8/23/2013  ON
Serial: 75618844 MANUAL

WATER 80003473 10-312532 278 ODINS BOW DR 1.000 S 5/8" 9/21/2016  ON
Serial: 80003473 MANUAL

WATER 75618845 10-312533 295 ODINS BOW DR 1.000 S 5/8" 8/23/2013 ON
Serial: 75618845 MANUAL

WATER 72853883 10-312534 285 ODINS BOW DR 1.000 S 5/8" 8/22/2013  ON
Serial: 72853883 MANUAL

WATER 72853886 10-312535 257 ODINS BOW DR 1.000 s 5/8" 8/22/2013  ON
Serial: 72853886 MANUAL

WATER 54773429 10-312536 253 ODINS BOW DR 1.000 R-P 5/8 1/01/1999 2/24/1999  ON
Serial: 54773429 MANUAL 1/01/1999

WATER 82386687 10-312537 241 ODINS BOW DR 1.000 S 5/8" 7/20/2017  ON
Serial: 82386687 MANUAL

WATER 80003493 10-312541 237 ODINS BOW DR 1.000 S 5/8" 9/21/2016  ON
Serial: 80003493 MANUAL

WATER 75618625 10-312542 110 ARROW CIR 1.000 S 5/8" 3/24/2015  ON
Serial: 75618625 MANUAL

WATER 80003491 10-312543 114 ARROW CIR 1.000 S 5/8" 9/21/2016  ON
Serial: 80003491 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 96
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 10 - BOOK 10
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 80002680 10-312544 116 ARROW CR 1.000 S 5/8" 9/21/2016  ON
Serial: 80002680 MANUAL
WATER 75618626 10-312545 117 ARROW CR 1.000 S 5/8" 3/24/2015  ON
Serial: 75618626 MANUAL
WATER 72853885 10-312546 115 ARROW CIR 1.000 S 5/8" 8/22/2013  ON
MANUAL
WATER 75618627 10-312547 219 ODINS BOW DR 1.000 S 5/8" 3/25/2015  ON
Serial: 75618627 MANUAL
WATER 70171607 10-312548 215 ODINS BOW DR 1.000 R-P 5/8 1/01/2009 5/18/2009  ON
Serial: 70171607 MANUAL 1/01/2009
WATER 75618623 10-312549 203 ODINS BOW DR 1.000 S 5/8" 3/24/2015  ON
Serial: 75618623 MANUAL
WATER 75618786 10-312550 197 ODINS BOW DR 1.000 s 5/8" 12/30/2013  ON
Serial: 75618786 MANUAL
WATER 54773335 10-312551 189 ODINS BOW DR 1.000 R-P 5/8 1/01/1998 2/24/1999  ON
Serial: 54773335 MANUAL 1/01/1998
WATER 72853787 10-312552 185 ODINS BOW DR 1.000 S 5/8" 3/04/2013  ON
Serial: 72853787 MANUAL
WATER 71458629 10-312553 179 ODINS BOW DR 1.000 s-P 5/8 1/01/2010 3/29/2010  ON
Serial: 71458629 MANUAL 1/01/2010
WATER 72853888 10-312554 171 ODINS BOW DR 1.000 S 5/8" 8/22/2013  ON
Serial: 72853888 MANUAL
WATER 90301620 10-312555 163 ODINS BOW DR 1.000 s 5/8" 12/14/2023  ON
Serial: 90301620 MANUAL
WATER 75618766 10-312556 155 ODINS BOW DR 1.000 S 5/8" 8/22/2013  ON
Serial: 75618766 MANUAL
WATER 96689042 10-312557 149 ODINS BOW DR 1.000 S 5/8" 12/19/2024  ON
Serial: 96689042 MANUAL
WATER 73681764 10-312558 141 ODINS BOW DR 1.000 S 5/8" 6/19/2014  ON
Serial: 73681764 MANUAL
WATER 70171450 10-312559 125 ODINS BOW DR 1.000 R-P 5/8 1/01/2009 5/18/2009  ON
Serial: 70171450 MANUAL 1/01/2009
WATER 67640813 10-312604 189 WILDWOOD DR 1.000 S-P 5/8 1/01/2007 3/09/2007  ON
Serial: 67640813 MANUAL 1/01/2007
WATER 67640809 10-312605 181 WILDWOOD DR 1.000 S-P 5/8 1/01/2007 3/19/2007  ON
Serial: 67640809 MANUAL 1/01/2007
WATER 67640812 10-312615 173 WILDWOOD DR 1.000 S-P 5/8 1/01/2007 3/19/2007  ON
Serial: 67640812 MANUAL 1/01/2007
WATER 54773430 10-312620 169 WILDWOOD DR 1.000 R-P 1/01/1998 2/24/1999  ON
Serial: 54773430 MANUAL 1/01/1998
WATER 67640814 10-312625 167 WILDWOOD DR 1.000 S-P 5/8 1/01/2007 3/19/2007  ON
Serial: 67640814 MANUAL 1/01/2007
WATER 67640811 10-312630 161 WILDWOOD DR 1.000 S-P 5/8 1/01/2007 3/19/2007  ON
Serial: 67640811 MANUAL 1/01/2007
WATER 84007928 10-312635 159 WILDWOOD DR 1.000 s 5/8" 1/16/2019  ON
Serial: 84007928 MANUAL
WATER 73987836 10-312703 151 WILDWOOD DR 1.000 S 5/8" 3/16/2012 3/16/2012 ON
Serial: 73987836 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 97
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 10 - BOOK 10
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 70171606 10-312704 149 WILDWOOD DR 1.000 R-P 5/8 1/01/2009 5/18/2009  ON
Serial: 70171606 MANUAL 1/01/2009
WATER 70171605 10-312705 145 WILDWOOD DR 1.000 R-P 5/8 1/01/2009 5/18/2009  ON
Serial: 70171605 MANUAL 1/01/2009
WATER 84007968 10-312706 143 WILDWOOD DR 1.000 S 5/8" 10/22/2018  ON
Serial: 84007968 MANUAL

WATER 67640883 10-312707 139 WILDWOOD DR 1.000 S-P 5/8 1/01/2007 3/19/2007  ON
Serial: 67640883 MANUAL 1/01/2007

WATER 67640790 10-312800 131 WILDWOOD DR 1.000 S-P 5/8 1/01/2007 3/19/2007  ON
Serial: 67640790 MANUAL 1/01/2007

WATER 67640789 10-312900 119 WILDWOOD DR 1.000 S-P 5/8 1/01/2007 3/19/2007  ON
Serial: 67640789 MANUAL 1/01/2007

WATER 73988006 10-312940 110 STRATFORD PL 1.000 S 5/8" 3/19/2015 ON
Serial: 73988006 MANUAL

WATER 75618629 10-312941 114 STRATFORD PL 1.000 S 5/8" 3/30/2015  ON
Serial: 75618629 MANUAL

WATER 75618628 10-312942 118 STRATFORD PL 1.000 S 5/8" 3/30/2015  ON
Serial: 75618628 MANUAL

WATER 75618638 10-312943 126 STRATFORD PL 1.000 s 5/8" 10/21/2015  ON
Serial: 75618638 MANUAL

WATER 59295671 10-313000 126 WILDWOOD DR 1.000 R-P 5/8 1/01/2001 1/29/2002 ON
Serial: 59295671 MANUAL 1/01/2002

WATER 84008014 10-313100 140 WILDWOOD DR 1.000 S 5/8" 3/28/2018  ON
Serial: 84008014 MANUAL

WATER 82386684 10-313200 148 WILDWOOD DR 1.000 S 5/8" 7/20/2017  ON
Serial: 82386684 MANUAL

WATER 67640787 10-313300 158 WILDWOOD DR 1.000 S-P 5/8 1/01/2007 3/19/2007  ON
Serial: 67640787 MANUAL 1/01/2007

WATER 67640786 10-313302 164 WILDWOOD DR 1.000 S-P 5/8 1/01/2007 3/19/2007  ON
Serial: 67640786 MANUAL 1/01/2007

WATER 80002700 10-313400 172 WILDWOOD DR 1.000 S 5/8" 8/31/2016  ON
Serial: 80002700 MANUAL

WATER 80002696 10-313500 180 WILDWOOD DR 1.000 S 5/8" 8/31/2016  ON
Serial: 80002696 MANUAL

WATER 58613096 10-313600 198 WILDWOOD DR 1.000 R-P 5/8 1/01/2001 5/19/2001  ON
Serial: 58613096 MANUAL 1/01/2001

WATER 89570835 10-313700 389 WOODYS LAKE RD 1.000 S 5/8" 1/27/2021  OFF
Serial: 89570835 1.000 MANUAL

WATER 89570846 10-313800 385 WOODYS LAKE RD 1.000 S 5/8" 1/27/2021  ON
Serial: 89570846 MANUAL

WATER 89570845 10-313810 373 WOODYS LAKE RD 1.000 S 5/8" 1/27/2021  ON
Serial: 89570845 MANUAL

WATER 89570841 10-313900 369 WOODYS LAKE RD 1.000 s 5/8" 1/27/2021  ON
Serial: 89570841 MANUAL

WATER 89570844 10-313905 355 WOODYS LAKE RD 1.000 s 5/8" 1/27/2021  ON
Serial: 89570844 MANUAL

WATER 89570843 10-314000 339 WOODYS LAKE RD 1.000 s 5/8" 1/27/2021  ON
Serial: 89570843 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 98

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 10 - BOOK 10

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 89570842 10-314100 337 WOODYS LAKE RD 1.000 s 5/8" 1/27/2021  OFF
Serial: 89570842 1.000 MANUAL

WATER 82386874 10-314119 128 HILLDALE LN 1.000 S 5/8" 7/20/2017  ON
Serial: 82386874 MANUAL

WATER 67640752 10-314120 142 HILLSDALE LN 1.000 S-P 5/8 1/01/2007 3/20/2007  ON
Serial: 67640752 MANUAL 1/01/2007

WATER 67640751 10-314200 150 HILLSDALE LN 1.000 S-P 5/8 1/01/2007 3/20/2007  ON
Serial: 67640751 MANUAL 1/01/2007

WATER 67640750 10-314210 156 HILLDALE LN 1.000 S-P 5/8 1/01/2007 3/20/2007  ON
Serial: 67640750 MANUAL 1/01/2007

WATER 54773362 10-314220 160 HILLSDALE LN 1.000 R-P 5/8 1/01/1998 2/24/1999  ON
Serial: 54773362 MANUAL 1/01/1998

WATER 70171608 10-314225 162 HILLSDALE LN 1.000 R-P 5/8 1/01/2009 5/19/2009  ON
Serial: 70171608 MANUAL 1/01/2009

WATER 75618622 10-314230 163 HILLSDALE LN 1.000 S 5/8" 3/24/2015  ON
Serial: 75618622 MANUAL

WATER 75618601 10-314235 161 HILLDALE LN 1.000 S 5/8" 3/24/2015  ON
Serial: 75618601 MANUAL

WATER 67640749 10-314300 155 HILLDALE LN & 157 1.000 S-P 5/8 1/01/2007 3/20/2007  ON
Serial: 67640749 MANUAL 1/01/2007

WATER 67640816 10-314400 151 HILLSDALE LN 1.000 S-P 5/8 1/01/2007 1/01/2007 ON
Serial: 67640816 MANUAL 1/01/2007

WATER 67640819 10-314500 145 HILLDALE LN 1.000 S-P 5/8 1/01/2007 3/20/2007  ON
Serial: 67640819 MANUAL 1/01/2007

WATER 67640818 10-314600 139 HILLDALE LN 1.000 S-P 5/8 1/01/2007 3/20/2007  ON
Serial: 67640818 MANUAL 1/01/2007

WATER 70171453 10-314700 135 HILLDALE LN 1.000 R-P 5/8 1/01/2009 5/19/2009  ON
Serial: 70171453 MANUAL 1/01/2009

WATER 82386875 10-314800 127 HILLDALE LN 1.000 S 5/8" 7/20/2017  ON
Serial: 82386875 MANUAL

WATER 80002698 10-314900 121 HILLDALE LN 1.000 S 5/8" 8/31/2016  ON
Serial: 80002698 MANUAL

WATER 89570833 10-315000 327 WOODYS LAKE RD 1.000 s 5/8" 1/27/2021  ON
Serial: 89570833 MANUAL

WATER 89570848 10-315100 325 WOODYS LAKE RD 1.000 s 5/8" 2/17/2021  ON
Serial: 89570848 MANUAL

WATER 89570829 10-315200 315 WOODYS LAKE RD 1.000 S 5/8" 1/27/2021  ON
Serial: 89570829 MANUAL

WATER 89570830 10-315300 313 WOODYS LAKE RD 1.000 S 5/8" 1/27/2021  OFF
Serial: 89570830 1.000 MANUAL

WATER 67640712 10-315400 106 VALLEYDALE DR 1.000 S-P 5/8 1/01/2007 3/20/2007  ON
Serial: 67640712 MANUAL 1/01/2007

WATER 67640711 10-315500 116 VALLEYDALE DR 1.000 S-P 5/8 1/01/2007 3/20/2007  ON
Serial: 67640711 MANUAL 1/01/2007

WATER 67640709 10-315600 122 VALLEYDALE DR 1.000 S-P 5/8 1/01/2007 3/20/2007  ON
Serial: 67640709 MANUAL 1/01/2007

WATER 67640708 10-315700 130 VALLEYDALE DR 1.000 S-P 5/8 1/01/2007 3/20/2007  ON

Serial: 67640708 MANUAL 1/01/2007





2/11/2026 12:41 PM METER REPORT PAGE : 99
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT

DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes

DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999

BOOK: 10 - BOOK 10
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
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2/11/2026 12:41 PM METER REPORT PAGE : 100
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 10 - BOOK 10
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 82386872 10-318600 125 OAKWOOD DR 1.000 S 5/8" 7/21/2017  ON
Serial: 82386872 MANUAL
WATER 67640837 10-318700 119 OAKWOOD DR 1.000 S-P 5/8 1/01/2007 3/22/2007  ON
Serial: 67640837 MANUAL 1/01/2007
WATER 67640834 10-318701  109-111 OAKWOOD DR DUPLEX 2nd  1.000 S-P 5/8 1/01/2007 3/22/2007  ON
Serial: 67640834 MANUAL 1/01/2007
WATER 67640836 10-318702 103-105 OAKWOOD DR DUPLEX 1.000 S-P 5/8 1/01/2007 3/22/2007  ON
Serial: 67640836 MANUAL 1/01/2007
WATER 71458616 10-319100 258 AMELON RD 1.000 S-P 5/8 1/01/2010 3/31/2010 ON
Serial: 71458616 MANUAL 1/01/2010
WATER 67640833 10-319114 300 AMELON RD 1.000 S-P 5/8 1/01/2007 3/22/2007  ON
Serial: 67640833 MANUAL 1/01/2007
WATER 82386871 10-319115 308 AMELON RD 1.000 S 5/8" 7/21/2017  ON
Serial: 82386871 MANUAL
WATER 67640838 10-319116 122 AMELON PL 1.000 S-P 5/8 1/01/2007 3/22/2007  ON
Serial: 67640838 MANUAL 1/01/2007
WATER 70171260 10-319117 126 AMELON PL 1.000 R-P 5/8 1/01/2009 5/19/2009 ON
Serial: 70171260 MANUAL 1/01/2009
WATER 67640835 10-319118 134 AMELON PL 1.000 S-P 5/8 1/01/2007 3/22/2007  ON
Serial: 67640835 MANUAL 1/01/2007
WATER 67640741 10-319200 140 AMELON PL 1.000 S-P 5/8 1/01/2007 3/22/2007  ON
Serial: 67640741 MANUAL 1/01/2007
WATER 67640742 10-319300 151 AMELON PL 1.000 S-P 5/8 1/01/2007 3/22/2007  ON
Serial: 67640742 MANUAL 1/01/2007
WATER 67640737 10-319305 149 AMELON PL 1.000 S-P 5/8 1/01/2007 3/22/2007  ON
Serial: 67640737 MANUAL 1/01/2007
WATER 100933489 10-319400 135 AMELON PL 1.000 S-IPRL  5/8" 10/17/2025  ON
Serial: 100933489 MANUAL
WATER 67640740 10-319405 127 AMELON PL 1.000 S-P 5/8 1/01/2007 3/22/2007  ON
Serial: 67640740 MANUAL 1/01/2007
WATER 67640738 10-319500 117 AMELON PL 1.000 S-P 5/8 1/01/2007 3/23/2007  ON
Serial: 67640738 MANUAL 1/01/2007
WATER 84007994 10-319505 322 AMELON RD 1.000 s 5/8" 4/19/2018  ON
Serial: 84007994 MANUAL
WATER 75618764 10-319510 332 AMELON RD 1.000 s 5/8" 7/30/2014  ON
Serial: 75618764 MANUAL
WATER 67640795 10-319600 350 AMELON RD 1.000 S-P 1/01/2007 3/23/2007  ON
Serial: 67640795 MANUAL 1/01/2007
WATER 67640796 10-319700 364 AMELON RD 1.000 S-P 5/8 1/01/2007 3/23/2007  ON
Serial: 67640796 MANUAL 1/01/2007
WATER 67640791 10-319800 366 AMELON RD 1.000 S-P 5/8 1/01/2007 3/23/2007  ON
Serial: 67640791 MANUAL 1/01/2007
WATER 67640794 10-319805 366 AMELON RD 1.000 S-P 5/8 1/01/2008 0/00/2000  ON
Serial: 67640794 MANUAL 1/01/2008
WATER 67640831 10-319900 376 AMELON RD 1.000 S-P 5/8 1/01/2007 3/23/2007  ON
Serial: 67640831 MANUAL 1/01/2007
WATER 82386928 10-319905 384 AMELON RD 1.000 s 5/8" 7/21/2017  ON
Serial: 82386928 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 101
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT

DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes

DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999

BOOK: 10 - BOOK 10
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 82386929 10-320000 402 AMELON RD 1.000 S 5/8" 7/21/2017  ON
Serial: 82386929 MANUAL

WATER 84008066 10-320010 410 AMELON RD 1.000 s 5/8" 3/28/2018  ON
Serial: 84008066 MANUAL

WATER 70171262 10-320100 414 AMELON RD 1.000 R-P 5/8 1/01/2009 5/19/2009 ON
Serial: 70171262 MANUAL 1/01/2009

WATER 86011753 10-320200 418 AMELON RD 1.000 s 5/8" 7/24/2019  ON
Serial: 86011753 MANUAL

WATER 80002697 10-320225 446 AMELON RD 1.000 S 5/8" 8/31/2016  ON
Serial: 80002697 MANUAL

WATER 84007998 10-320300 454 AMELON RD 1.000 s 5/8" 4/19/2018  ON
Serial: 84007998 MANUAL

WATER 86011752 10-320305 460 AMELON RD 1.000 S 5/8" 7/24/2019  ON
Serial: 86011752 MANUAL

WATER 67640828 10-320500 474 AMELON RD 1.000 S-P 5/8 1/01/2007 3/23/2007  ON
Serial: 67640828 MANUAL 1/01/2007

WATER 67640830 10-320550 488 AMELON RD 1.000 S-P 5/8 1/01/2007 3/23/2007  ON
Serial: 67640830 MANUAL 1/01/2007

WATER 70171258 10-320552 494 AMELON RD 1.000 R-P 5/8 1/01/2009 5/19/2009  ON
Serial: 70171258 MANUAL 1/01/2009

WATER 86011748 10-320554 502 AMELON RD 1.000 s 5/8" 7/24/2019  ON
Serial: 86011748 MANUAL

WATER 67640827 10-320556 508 AMELON RD 1.000 S-P 5/8 1/01/2007 3/23/2007  ON
Serial: 67640827 MANUAL 1/01/2007

WATER 75618767 10-320561 522 AMELON RD 1.000 S 5/8" 6/25/2013  ON
Serial: 75618767 MANUAL

WATER 75618768 10-320562 524 AMELON RD 1.000 s 5/8" 6/25/2013  ON
Serial: 75618768 MANUAL

WATER 751458472 10-320563 526 AMELON RD 1.000 S 5/8" 6/25/2013  ON
Serial: 751458472 MANUAL

WATER 75618831 10-320564 528 AMELON RD 1.000 S 5/8" 8/27/2013  ON
Serial: 75618831 MANUAL

WATER 53767070 10-320565 530 AMELON RD 1.000 R-P 5/8 1/01/1998 0/00/2000  ON
Serial: 53767070 MANUAL 1/01/1998

WATER 73681824 10-320566 532 AMELON RD 1.000 S 5/8" 9/19/2013  ON
Serial: 73681824 MANUAL

WATER 73987969 10-320567 534 AMELON RD 1.000 S 5/8" 9/21/2021  ON
Serial: 73987969 MANUAL

WATER 73988002 10-320568 536 AMELON RD 1.000 S 5/8" 10/02/2013  ON
Serial: 73988002 MANUAL

WATER 73987901 10-320569 538 AMELON RD 1.000 S 5/8" 10/22/2013  ON
Serial: 73987901 MANUAL

WATER 75618809 10-320570 540 AMELON RD 1.000 s 5/8" 10/31/2013  ON
Serial: 75618809 MANUAL

WATER 86011749 10-320580 544 AMELON RD 1.000 s 5/8" 7/24/2019  ON
Serial: 86011749 MANUAL

WATER 90301772 10-320590 546 AMELON RD 1.000 s 5/8" 10/21/2021  ON
Serial: 90301772 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 102

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 10 - BOOK 10

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 102111273 10-320592 552 AMELON RD 1.000 S-IPRL 5/8" 1/09/2026  OFF
Serial: 102111273 1.000 MANUAL

WATER 86011750 10-320600 102 WOODLAND DR 1.000 s 5/8" 7/24/2019  ON
Serial: 86011750 MANUAL

WATER 67640829 10-320605 106 WOODLAND DR 1.000 S-P 5/8 1/01/2007 3/23/2007  ON
Serial: 67640829 MANUAL 1/01/2007

WATER 67640777 10-320606 114 WOODLAND DR 1.000 S-P 5/8 1/01/2007 3/23/2007  ON
Serial: 67640777 MANUAL 1/01/2007

WATER 82386926 10-320607 124 WOODLAND DR 1.000 s 5/8" 7/21/2017  ON
Serial: 82386926 MANUAL

WATER 80003111 10-320608 132 WOODLAND DR 1.000 S 5/8" 8/31/2016  ON
Serial: 80003111 MANUAL

WATER 67640774 10-320609 140 WOODLAND DR 1.000 S-P 5/8 1/01/2007 3/23/2007  ON
Serial: 67640774 MANUAL 1/01/2007

WATER 96689066 10-320610 146 WOODLAND DR 1.000 s 5/8" 12/20/2024  ON
Serial: 96689066 MANUAL

WATER 67412815 10-320612 162 WOODLAND DR 1.000 S-P 1/01/2007 2/22/2007  ON
Serial: 67412815 MANUAL 1/01/2007

WATER 67412818 10-320614 168 WOODLAND DR 1.000 S-P 5/8 1/01/2007 2/22/2007  ON
Serial: 67412818 MANUAL 1/01/2007

WATER 67412819 10-320620 182 WOODLAND DR 1.000 S-P 5/8 1/01/2007 2/22/2007  ON
Serial: 67412819 MANUAL 1/01/2007

WATER 70171587 10-320622 190 WOODLAND DR 1.000 R-P 5/8 1/01/2009 4/29/2009  ON
Serial: 70171587 MANUAL 1/01/2009

WATER 67412816 10-320624 198 WOODLAND DR 1.000 S-P 5/8 1/01/2007 2/22/2007  ON
Serial: 67412816 MANUAL 1/01/2007

WATER 71458601 10-320627 224 WOODLAND DR 1.000 S-P 5/8 1/01/2010 3/29/2010  ON
Serial: 71458601 MANUAL 1/01/2010

WATER 80003113 10-320700 254 WOODLAND DR 1.000 S 5/8" 8/31/2016  ON
Serial: 80003113 MANUAL

WATER 80003110 10-320701 108 SHADY OAK DR 1.000 S 5/8" 8/31/2016  ON
Serial: 80003110 MANUAL

WATER 71458517 10-320702 112 SHADY OAK DR 1.000 S-P 5/8 1/01/2010 3/31/2010 ON
Serial: 71458517 MANUAL 1/01/2010

WATER 82386927 10-320703 120 SHADY OAK DR 1.000 s 5/8" 7/21/2017  ON
Serial: 82386927 MANUAL

WATER 80003114 10-320704 128 SHADY OAK DR 1.000 S 5/8" 8/31/2016  ON
Serial: 80003114 MANUAL

WATER 82386520 10-320705 136 SHADY OAK DR 1.000 s 5/8" 7/24/2017  ON
Serial: 82386520 MANUAL

WATER 80003115 10-320706 112 HICKORY WAY 1.000 S 5/8" 8/31/2016  ON
Serial: 80003115 MANUAL

WATER 82386925 10-320708 118 HICKORY WAY 1.000 s 5/8" 7/24/2017  ON
Serial: 82386925 MANUAL

WATER 80003112 10-320718 121 HICKORY WAY 1.000 S 5/8" 8/31/2016  ON
Serial: 80003112 MANUAL

WATER 80002648 10-320720 158 SHADY OAK DR 1.000 S 5/8" 9/14/2016  ON

Serial: 80002648 MANUAL





2/11/2026 12:41 PM

DT PURCHSED:
DT INSTALL:
DT REPAIR:
DT TESTED:
BOOK:

0/00/0000 TO 99/99/9999
1/01/1900 TO 2/11/2026
0/00/0000 TO 99/99/9999
0/00/0000 TO 99/99/9999
10 - BOOK 10

- METER GROUP - METER NO# ACCOUNT NO#

————— SERVICE
--MXU ID--

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

80002762 10-320721
80002762

71458613 10-320722
71458613

71458641 10-320723
71458641

71458638 10-320724
71458638

67412817 10-320725
67412817

71458467 10-320726
71458467

67412820 10-320727
67412820

68692031 10-320728
68692031

67412643 10-320729
67412643

71458636 10-320730
71458636

67412642 10-320731
67412642

166 SHADY OAK

172 SHADY OAK

184 SHADY OAK

198 SHADY OAK

210 SHADY OAK

122 ABBY CT

126 ABBY CT

128 ABBY CT

129 ABBY CT

127 ABBY CT

123 ABBY CT

METER REPORT PAGE :
SEQ :ACCOUNT
SIZE :All Sizes
MAKE :All Makes
ADDRESS ------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
DR 1.000 s 5/8" 9/28/2016  ON
MANUAL
DR 1.000 S-P 5/8 1/01/2010 3/31/2010 ON
MANUAL 1/01/2010
DR 1.000 S-P 5/8 1/01/2010 3/31/2010  ON
MANUAL 1/01/2010
DR 1.000 s-P 5/8 1/01/2010 3/31/2010  ON
MANUAL 1/01/2010
DR 1.000 S-P 5/8 1/01/2007 2/23/2007 ON
MANUAL 1/01/2007
1.000 S 5/8" 3/15/2011 ON
MANUAL
1.000 s-P 5/8 1/01/2007 2/23/2007  ON
MANUAL 1/01/2007
1.000 R-P 5/8 1/01/2008 1/16/2008  ON
MANUAL 1/01/2008
1.000 S-P 5/8 1/01/2007 2/23/2007  ON
MANUAL 1/01/2007
1.000 s-P 5/8 1/01/2010 3/31/2010  ON
MANUAL 1/01/2010
1.000 S-P 5/8 1/01/2007 2/23/2007 ON
MANUAL 1/01/2007





2/11/2026 12:41 PM METER REPORT PAGE : 104

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 11 - BOOK 11

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 68692028 11-320732 222 SHADY OAK DR 1.000 R-P 5/8 1/01/2008 1/16/2008  ON
Serial: 68692028 MANUAL 1/01/2008

WATER 67412644 11-320733 240 SHADY OAK DR 1.000 S-P 5/8 1/01/2007 3/02/2007  ON
Serial: 67412644 MANUAL 1/01/2007

WATER 71458637 11-320734 248 SHADY OAK DR 1.000 S-P 5/8 1/01/2010 3/31/2010 ON
Serial: 71458637 MANUAL 1/01/2010

WATER 71458639 11-320735 254 SHADY OAK DR 1.000 S-P 5/8 1/01/2010 3/31/2010 ON
Serial: 71458639 MANUAL 1/01/2010

WATER 71458640 11-320736 260 SHADY OAK DR 1.000 S-P 5/8 1/01/2010 3/31/2010 ON
Serial: 71458640 MANUAL 1/01/2010

WATER 54773343 11-320737 264 SHADY OAK DR 1.000 S-P 5/8 1/01/1999 1/10/2000  ON
Serial: 54773343 MANUAL

WATER 70171483 11-320738 282 SHADY OAK DR 1.000 S-P 5/8 1/01/2009 4/29/2009  ON
Serial: 70171483 MANUAL 1/01/2009

WATER 73987756 11-320739 284 SHADY OAK DR 1.000 S 5/8" 3/21/2012 3/21/2012  ON
Serial: 73987756 MANUAL

WATER 73987952 11-320740 296 SHADY OAK DR 1.000 S 5/8" 3/21/2012 3/21/2012  ON
Serial: 73987952 MANUAL

WATER 71458602 11-320741 298 SHADY OAK DR 1.000 S-P 5/8 1/01/2010 3/31/2010 ON
Serial: 71458602 MANUAL 1/01/2010

WATER 71458511 11-320742 306 SHADY OAK DR 1.000 S 5/8" 3/15/2011  ON
Serial: 71458511 MANUAL

WATER 73681709 11-320743 314 SHADY OAK DR 1.000 s 5/8" 10/02/2013  ON
Serial: 73681709 MANUAL

WATER 84008111 11-320744 206 TODD LN 1.000 S 5/8" 3/23/2018  ON
Serial: 84008111 MANUAL

WATER 75618568 11-320745 106 ALEX CT 1.000 S 5/8" 1/10/2016 1/10/2016  ON
Serial: 75618568 MANUAL

WATER 80002644 11-320746 108 ALEX CT 1.000 S 5/8" 9/14/2016  ON
Serial: 80002644 MANUAL

WATER 56458011 11-320747 114 ALEX CT 1.000 S-P 5/8 1/01/2000 5/22/2001  ON
Serial: 56458011 MANUAL

WATER 80002678 11-320748 120 ALEX CT 1.000 S 5/8" 9/21/2016  ON
Serial: 80002678 MANUAL

WATER 63056500 11-320749 124 ALEX CT 1.000 S-P 5/8 1/01/2006 4/25/2006  ON
Serial: 63056500 MANUAL 1/01/2006

WATER 86011751 11-320750 142 ALEX CT 1.000 S 5/8" 8/19/2019  ON
Serial: 86011751 MANUAL

WATER 82386521 11-320752 148 ALEX CT 1.000 S 5/8" 7/24/2017  ON
Serial: 82386521 MANUAL

WATER 82386576 11-320753 143 ALEX CT 1.000 S 5/8" 7/24/2017  ON
Serial: 82386576 MANUAL

WATER 80003489 11-320754 139 ALEX CT 1.000 S 5/8" 9/21/2016  ON
Serial: 80003489 MANUAL

WATER 88240078 11-320755 133 ALEX CT 1.000 S 5/8" 6/15/2020  ON
Serial: 88240078 MANUAL

WATER 80003490 11-320756 125 ALEX CT 1.000 S 5/8" 9/21/2016  ON

Serial: 80003490 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 105

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 11 - BOOK 11

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 86011699 11-320757 111 ALEX CT 1.000 S 5/8" 8/22/2019  ON
Serial: 86011699 MANUAL

WATER 80002679 11-320758 103 ALEX CT 1.000 S 5/8" 9/21/2016  ON
Serial: 80002679 MANUAL

WATER 84008110 11-320759 244 TODD LN 1.000 S 5/8" 3/23/2018  ON
Serial: 84008110 MANUAL

WATER 80003474 11-320790 251 TODD LN 1.000 S 5/8" 9/21/2016  ON
Serial: 80003474 MANUAL

WATER 80003472 11-320791 243 TODD LN 1.000 S 5/8" 9/21/2016  ON
Serial: 80003472 MANUAL

WATER 56458016 11-320792 235 TODD LN 1.000 S-P 5/8 1/01/2000 5/19/2001  ON
Serial: 56458016 MANUAL

WATER 80003470 11-320793 227 TODD LN 1.000 s 5/8" 9/21/2016  ON
Serial: 80003470 MANUAL

WATER 82386578 11-320794 219 TODD LN 1.000 S 5/8" 7/24/2017  ON
Serial: 82386578 MANUAL

WATER 82386577 11-320795 211 TODD LN 1.000 S 5/8" 7/24/2017  ON
Serial: 82386577 MANUAL

WATER 84008067 11-320796 203 TODD LN 1.000 S 5/8" 3/28/2018  ON
Serial: 84008067 MANUAL

WATER 82386516 11-320797 195 TODD LN 1.000 s 5/8" 7/24/2017  ON
Serial: 82386516 MANUAL

WATER 86011689 11-320798 187 TODD LN 1.000 S 5/8" 6/24/2020  ON
Serial: 86011689 MANUAL

WATER 88239819 11-320799 179 TODD LN 1.000 S 5/8" 6/26/2020  ON
Serial: 88239819 MANUAL

WATER 84008109 11-320800 171 TODD LN 1.000 S 5/8" 3/23/2018  ON
Serial: 84008109 MANUAL

WATER 54773391 11-320958 317 SHADY OAK DR 1.000 S-P 5/8 1/01/1999 0/00/2000  ON
Serial: 54773391 MANUAL 1/01/1999

WATER 54578698 11-320959 311 SHADY OAK DR 1.000 S-P 5/8 1/01/1998 2/05/1999  ON
Serial: 54578698 MANUAL 1/01/1998

WATER 73987957 11-320960 303 SHADY OAK DR 1.000 S 5/8" 3/21/2012 3/21/2012  ON
Serial: 73987957 MANUAL

WATER 73681816 11-320961 299 SHADY OAK DR 1.000 S 5/8" 3/21/2012 3/21/2012 ON
Serial: 73681816 MANUAL

WATER 73987758 11-320962 295 SHADY OAK DR 1.000 S 5/8" 3/20/2012 3/20/2012  ON
Serial: 73987758 MANUAL

WATER 73681815 11-320963 287 SHADY OAK DR 1.000 S 5/8" 3/20/2012 3/20/2012  ON
Serial: 73681815 MANUAL

WATER 73987954 11-320964 281 SHADY OAK DR 1.000 S 5/8" 3/21/2012 3/21/2012  ON
Serial: 73987954 MANUAL

WATER 71458600 11-320965 265 SHADY OAK DR 1.000 S 5/8" 3/31/2010 3/31/2010 ON
Serial: 71458600 MANUAL

WATER 67412646 11-320966 247 SHADY OAK DR 1.000 S-P 5/8 1/01/2007 3/02/2007  ON
Serial: 67412646 MANUAL 1/01/2007

WATER 67412645 11-320967 235 SHADY OAK DR 1.000 S-P 5/8 1/01/2007 3/02/2007  ON

Serial: 67412645 MANUAL 1/01/2007





2/11/2026 12:41 PM

DT PURCHSED:
DT INSTALL:
DT REPAIR:
DT TESTED:
BOOK:

0/00/0000 TO 99/99/9999
1/01/1900 TO 2/11/2026
0/00/0000 TO 99/99/9999
0/00/0000 TO 99/99/9999
11 - BOOK 11

- METER GROUP - METER NO# ACCOUNT NO#

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

METER REPORT PAGE :
SEQ :ACCOUNT
SIZE :All Sizes
MAKE :All Makes
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
--MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
225 SHADY OAK DR 1.000 s-P 5/8 1/01/2007 3/02/2007  ON
MANUAL 1/01/2007
219 SHADY OAK DR 1.000 S-P 5/8 1/01/2007 3/02/2007  ON
MANUAL 1/01/2007
209 SHADY OAK DR 1.000 R-P 5/8 1/01/2009 4/29/2009  ON
MANUAL 1/01/2009
201 SHADY OAK DR 1.000 S 5/8" 9/14/2016  ON
MANUAL
193 SHADY OAK DR 1.000 R-P 5/8 1/01/1998 0/00/2000  ON
MANUAL 1/01/1998
191 SHADY OAK DR 1.000 S-P 5/8 1/01/2010 3/31/2010  ON
MANUAL 1/01/2010
187 SHADY OAK DR 1.000 s 5/8" 8/17/2021  ON
MANUAL
179 SHADY OAK DR 1.000 s 5/8" 9/21/2016  ON
MANUAL
171 SHADY OAK DR 1.000 S 5/8" 3/21/2013  ON
MANUAL
163 SHADY OAK DR 1.000 S 5/8" 9/14/2016  ON
MANUAL
157 SHADY OAK DR 1.000 S 5/8" 3/24/2015  ON
MANUAL
149 SHADY OAK DR 1.000 S 5/8" 10/15/2021  ON
MANUAL
143 SHADY OAK DR 1.000 s 5/8" 3/24/2015  ON
MANUAL
119 SHADY OAK DR 1.000 s 5/8" 9/28/2016  ON
MANUAL
282 WOODLAND DR 1.000 S 5/8" 8/21/2017  ON
MANUAL
294 WOODLAND DR 1.000 S 5/8" 9/28/2016  ON
MANUAL
306 WOODLAND DR 1.000 R-P 5/8 1/01/1998 2/25/1999  ON
MANUAL 1/01/1998
130 TIMBER LN 1.000 S 5/8" 9/28/2016  ON
MANUAL
136 TIMBER LN 1.000 s 5/8" 9/28/2016  ON
MANUAL
137 TIMBER LN 1.000 s 5/8" 9/28/2016  ON
MANUAL
123 TIMBER LN 1.000 S-P 5/8 1/01/2007 3/02/2007  ON
MANUAL 1/01/2007
121 TIMBER LN 1.000 s-P 5/8 1/01/2010 3/29/2010 ON
MANUAL 1/01/2010
320 WOODLAND DR 1.000 R-P 5/8 1/01/2002 0/00/2000  ON
MANUAL
334 WOODLAND DR 1.000 S 5/8" 9/28/2016  ON
MANUAL

Serial:

67412641 11-320968
67412641

67412749 11-320969
67412749

70171480 11-320970
70171480

80002651 11-320971
80002651

54773349 11-320972
54773349

71458605 11-320973
71458605

90301801 11-320974
90301801

80002592 11-320975
80002592

72853905 11-320976
72853905

80002650 11-320977
80002650

75618600 11-320978
75618600

91301766 11-320979
90301766

75618722 11-320980
75618722

80002764 11-320982
80002764

82386579 11-320984
82386579

80002763 11-320985
80002763

54773416 11-320987
54773416

80002767 11-320989
80002767

80002710 11-320990
80002710

80002712 11-320992
80002712

67412751 11-320994
67412751

71458604 11-320995
71458604

59660618 11-320996
59660618

80002713 11-320998
80002713





2/11/2026 12:41 PM METER REPORT PAGE : 107

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 11 - BOOK 11

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 82386802 11-320999 348 WOODLAND DR 1.000 S 5/8" 8/21/2017  ON
Serial: 82386802 MANUAL

WATER 88239742 11-321000 106 OAKRIDGE DR 1.000 s 5/8" 8/19/2020  ON
Serial: 88239742 MANUAL

WATER 80002708 11-321001 118 OAKRIDGE DR 1.000 S 5/8" 9/28/2016  ON
Serial: 80002708 MANUAL

WATER 67412750 11-321002 122 OAKRIDGE DR 1.000 S-P 1/01/2007 3/02/2007  ON
Serial: 67412750 MANUAL 1/01/2007

WATER 80002765 11-321003 130 OAKRIDGE DR 1.000 S 5/8" 9/28/2016  ON
Serial: 80002765 MANUAL

WATER 82386581 11-321004 138 OAKRIDGE DR 1.000 S 5/8" 8/21/2017  ON
Serial: 82386581 MANUAL

WATER 82386798 11-321005 144 OAKRIDGE DR 1.000 S 5/8" 8/21/2017  ON
Serial: 82386798 MANUAL

WATER 82386923 11-321007 158 OAKRIDGE DR 1.000 s 5/8" 8/22/2017  ON
Serial: 82386923 MANUAL

WATER 82386580 11-321008 166 OAKRIDGE DR 1.000 S 5/8" 11/30/2017  ON
Serial: 82386580B MANUAL

WATER 80003507 11-321009 174 OAKRIDGE DR 1.000 S 5/8" 9/28/2016  ON
Serial: 80003507 MANUAL

WATER 82386799 11-321010 180 OAKRIDGE DR 1.000 S 5/8" 8/22/2017  ON
Serial: 82386799 MANUAL

WATER 80003511 11-321011 188 OAKRIDGE DR 1.000 S 5/8" 9/28/2016  ON
Serial: 80003511 MANUAL

WATER 80002709 11-321012 202 OAKRIDGE DR 1.000 S 5/8" 9/28/2016  ON
Serial: 80002709 MANUAL

WATER 82386918 11-321014 216 OAKRIDGE DR 1.000 s 5/8" 8/21/2017  ON
Serial: 82386918 MANUAL

WATER 82386803 11-321015 224 OAKRIDGE DR 1.000 S 5/8" 8/21/2017  ON
Serial: 82386803 MANUAL

WATER 67412753 11-321017 234 OAKRIDGE DR 1.000 S-P 5/8 1/01/2007 3/02/2007  ON
Serial: 67412753 MANUAL 1/01/2007

WATER 80002599 11-321018 242 OAKRIDGE DR 1.000 S 5/8" 8/23/2016 8/23/2016  ON
Serial: 80002599 MANUAL

WATER 88240013 11-321019 250 OAKRIDGE DR 1.000 S 5/8" 8/18/2020  ON
Serial: 88240013 MANUAL

WATER 88239822 11-321020 256 OAKRIDGE DR 1.000 S 5/8" 8/19/2020  ON
Serial: 88239822 MANUAL

WATER 88239843 11-321021 270 OAKRIDGE DR 1.000 s 5/8" 10/15/2020  ON
Serial: 88239843 MANUAL

WATER 88239824 11-321022 274 OAKRIDGE DR 1.000 S 5/8" 8/19/2020  ON
Serial: 88239824 MANUAL

WATER 88239823 11-321023 280 OAKRIDGE DR 1.000 S 5/8" 8/19/2020  ON
Serial: 88239823 MANUAL

WATER 66213734 11-321024 288 OAKRIDGE DR 1.000 S-P 1/01/2006 3/09/2006  ON
Serial: 66213734 MANUAL 1/01/2006

WATER 90301473 11-321025 296 OAKRIDGE DR 1.000 S 5/8" 6/21/2023  ON

Serial: 90301473 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 108

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 11 - BOOK 11

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 67412752 11-321026 304 OAKRIDGE DR 1.000 S-P 5/8 1/01/2007 3/02/2007  ON
Serial: 67412752 MANUAL 1/01/2007

WATER 75618755 11-321216 301 OAKRIDGE DR 1.000 s 5/8" 4/28/2014  ON
Serial: 75618755 MANUAL

WATER 67641456 11-321218 295 OAKRIDGE DR 1.000 S-P 5/8 1/01/2007 4/03/2007  ON
Serial: 67641456 MANUAL 1/01/2007

WATER 75618818 11-321219 285 OAKRIDGE DR 1.000 s 5/8" 10/29/2013  ON
Serial: 75618818 MANUAL

WATER 86011698 11-321220 279 OAKRIDGE DR 1.000 S 5/8" 8/22/2019  ON
Serial: 86011698 MANUAL

WATER 73988003 11-321221 267 OAKRIDGE DR 1.000 s 5/8" 10/02/2013  ON
Serial: 73988003 MANUAL

WATER 71458462 11-321222 116 OAKRIDGE CT 1.000 S 5/8" 3/16/2011 3/16/2011  ON
Serial: 71458462 MANUAL

WATER 70171479 11-321223 122 OAKRIDGE CT 1.000 R-P 5/8 1/01/2009 4/29/2009  ON
Serial: 70171479 MANUAL 1/01/2009

WATER 67412776 11-321224 134 OAKRIDGE CT 1.000 S-P 5/8 1/01/2007 3/08/2007  ON
Serial: 67412776 MANUAL 1/01/2007

WATER 70171255 11-321226 150 OAKRIDGE CT 1.000 R-P 5/8 1/01/2009 5/19/2009  ON
Serial: 70171255 MANUAL 1/01/2009

WATER 67412773 11-321228 162 OAKRIDGE CT 1.000 S-P 5/8 1/01/2007 3/08/2007  ON
Serial: 67412773 MANUAL 1/01/2007

WATER 67412775 11-321229 170 OAKRIDGE CT 1.000 S-P 5/8 1/01/2007 3/08/2007  ON
Serial: 67412775 MANUAL 1/01/2007

WATER 66213739 11-321235 131 OAKRIDGE CT 1.000 S-P 5/8 1/01/2006 3/10/2006  ON
Serial: 66213739 MANUAL 1/01/2006

WATER 82386919 11-321236 251 OAKRIDGE DR 1.000 s 5/8" 8/22/2017  ON
Serial: 82386919 MANUAL

WATER 88239763 11-321237 247 OAKRIDGE DR 1.000 S 5/8" 10/15/2020  ON
Serial: 88239763 MANUAL

WATER 90301755 11-321239 231 OAKRIDGE DR 1.000 s 5/8" 10/15/2021  ON
Serial: 90301755 MANUAL

WATER 100933456 11-321240 219 OAKRIDGE DR 1.000 S-IPRL  5/8" 10/22/2025  ON
Serial: 100933456 MANUAL

WATER 80002669 11-321242 108 REBEKAH LN 1.000 S 5/8" 9/28/2016  ON
Serial: 80002669 MANUAL

WATER 80002670 11-321243 130 REBEKAH LN 1.000 S 5/8" 9/28/2016  ON
Serial: 80002670 MANUAL

WATER 80003509 11-321246 192 OAKRIDGE CT 1.000 S 5/8" 9/28/2016  ON
Serial: 80003509 MANUAL

WATER 80003506 11-321247 204 OAKRIDGE CT 1.000 S 5/8" 9/28/2016  ON
Serial: 80003506 MANUAL

WATER 80003510 11-321248 208 OAKRIDGE CT 1.000 S 5/8" 9/28/2016  ON
Serial: 80003510 MANUAL

WATER 80002667 11-321250 220 OAKRIDGE CT 1.000 S 5/8" 9/28/2016  ON
Serial: 80002667 MANUAL

WATER 80002666 11-321251 222 OAKRIDGE CT 1.000 S 5/8" 9/28/2016  ON

Serial: 80002666 MANUAL
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DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 11 - BOOK 11
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 59660606 11-321252 223 OAKRIDGE CT 1.000 R-P 5/8 1/01/2002 2/01/2001  ON
Serial: 59660606 MANUAL 1/01/2002
WATER 82386800 11-321253 217 OAKRIDGE CT 1.000 S 5/8" 8/22/2017  ON
Serial: 82386800 MANUAL

WATER 80002671 11-321254 207 OAKRIDGE CT 1.000 S 5/8" 9/28/2016  ON
Serial: 80002671 MANUAL

WATER 80002711 11-321255 203 OAKRIDGE CT 1.000 S 5/8" 9/28/2016  ON
Serial: 80002711 MANUAL

WATER 80002668 11-321257 197 OAKRIDGE DR 1.000 S 5/8" 9/28/2016  ON
Serial: 80002668 MANUAL

WATER 80003508 11-321258 189 OAKRIDGE DR 1.000 S 5/8" 9/28/2016  ON
Serial: 80003508 MANUAL

WATER 80003151 11-321259 177 OAKRIDGE DR 1.000 s 5/8" 9/21/2016  ON
Serial: 80003151 MANUAL

WATER 80003150 11-321260 173 OAKRIDGE DR 1.000 s 5/8" 9/21/2016  ON
Serial: 80003150 MANUAL

WATER 80003149 11-321261 165 OAKRIDGE DR 1.000 S 5/8" 9/21/2016  ON
Serial: 80003149 MANUAL

WATER 80003147 11-321262 149 OAKRIDGE DR 1.000 S 5/8" 9/21/2016  ON
Serial: 80003147 MANUAL

WATER 80003148 11-321263 139 OAKRIDGE DR 1.000 S 5/8" 9/21/2016  ON
Serial: 80003148 MANUAL

WATER 80003146 11-321265 125 OAKRIDGE DR 1.000 S 5/8" 9/21/2016  ON
Serial: 80003146 MANUAL

WATER 70171254 11-321266 121 OAKRIDGE DR 1.000 R-P 5/8 1/01/2009 5/19/2009  ON
Serial: 70171254 MANUAL 1/01/2009

WATER 67412754 11-321267 113 OAKRIDGE DR 1.000 S-P 5/8 1/01/2007 3/08/2007  ON
Serial: 67412754 MANUAL 1/01/2007

WATER 82386922 11-321269 398 WOODLAND DR 1.000 S 5/8" 8/22/2017  ON
Serial: 82386922 MANUAL

WATER 82386790 11-321270 408 WOODLAND DR 1.000 S 5/8" 8/22/2017  ON
Serial: 82386790 MANUAL

WATER 82386801 11-321271 414 WOODLAND DR 1.000 S 5/8" 8/22/2017  ON
Serial: 82386801 MANUAL

WATER 80003423 11-321272 428 WOODLAND DR 1.000 S 5/8" 9/21/2016  ON
Serial: 80003423 MANUAL

WATER 82386786 11-321273 436 WOODLAND DR 1.000 S 5/8" 8/22/2017  ON
Serial: 82386786 MANUAL

WATER 82386787 11-321274 438 WOODLAND DR 1.000 s 5/8" 8/22/2017  ON
Serial: 82386787 MANUAL

WATER 80003391 11-321275 446 WOODLAND DR 1.000 S 5/8" 9/21/2016  ON
Serial: 80003391 MANUAL

WATER 80003424 11-321276 454 WOODLAND DR 1.000 S 5/8" 9/21/2016  ON
Serial: 80003424 MANUAL

WATER 80003422 11-321277 462 WOODLAND DR 1.000 S 5/8" 9/21/2016  ON
Serial: 80003422 MANUAL

WATER 70171256 11-321278 468 WOODLAND DR 1.000 R-P 1/01/2009 5/19/2009  ON
Serial: 70171256 MANUAL 1/01/2009
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DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 11 - BOOK 11

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 67412778 11-321279 104 FERNWOOD DR 1.000 S-P 5/8 1/01/2007 3/08/2007  ON
Serial: 67412778 MANUAL 1/01/2007

WATER 67412777 11-321280 118 FERNWOOD DR 1.000 S-P 5/8 1/01/2007 2/11/1993  ON
Serial: 67412777 MANUAL 1/01/2007

WATER 82386788 11-321281 134 FERNWOOD DR 1.000 S 5/8" 8/22/2017  ON
Serial: 82386788 MANUAL

WATER 82386789 11-321282 144 FERNWOOD DR 1.000 S 5/8" 8/22/2017  ON
Serial: 82386789 MANUAL

WATER 75618762 11-321283 154 FERNWOOD DR 1.000 s 5/8" 12/01/2014  ON
Serial: 75618762 MANUAL

WATER 73988000 11-321285 182 FERNWOOD DR 1.000 s 5/8" 10/02/2013  ON
Serial: 73988000 MANUAL

WATER 58575669 11-321286 200 FERNWOOD DR 1.000 S-P 5/8 1/01/2001 7/11/2002  ON
Serial: 58575669 MANUAL

WATER 54773389 11-321287 204 FERNWOOD DR 1.000 S-P 5/8 1/01/1998 4/29/1999  ON
Serial: 54773389 MANUAL

WATER 88239758 11-321289 220 FERNWOOD DR 1.000 S 5/8" 4/01/2021  ON
Serial: 88239758 MANUAL

WATER 86011911 11-321296 167 TODD LN 1.000 s 5/8" 7/24/2019  ON
Serial: 86011911 MANUAL

WATER 86011929 11-321297 163 TODD LN 1.000 s 5/8" 7/24/2019  ON
Serial: 86011929 MANUAL

WATER 86011785 11-321298 159 TODD LN 1.000 S 5/8" 8/22/2019  ON
Serial: 86011785 MANUAL

WATER 86011786 11-321299 155 TODD LN 1.000 S 5/8" 8/22/2019  ON
Serial: 86011786 MANUAL

WATER 63056442 11-321300 141 TODD LN 1.000 S-P 5/8 1/01/2006 2/14/2006  ON
Serial: 63056442 MANUAL

WATER 67412639 11-321301 139 TODD LN 1.000 S-P 5/8 1/01/2007 3/22/2007  ON
Serial: 67412639 MANUAL

WATER 88239741 11-321302 131 TODD LN 1.000 S 5/8" 8/19/2020  ON
Serial: 88239741 MANUAL

WATER 80002830 11-321303 107 TODD LN 1.000 S 5/8" 8/02/2016  ON
Serial: 80002830 MANUAL

WATER 86011658 11-321306 211 FERNWOOD DR 1.000 S 5/8" 8/22/2019  ON
Serial: 86011658 MANUAL

WATER 75618599 11-321307 207 FERNWOOD DR 1.000 s 5/8" 3/24/2015  ON
Serial: 75618599 MANUAL

WATER 73987956 11-321309 187 FERNWOOD DR 1.000 S 5/8" 3/21/2012 3/21/2012  ON
Serial: 43987956 MANUAL

WATER 73987759 11-321310 179 FERNWOOD DR 1.000 S 5/8" 3/21/2012 3/21/2012  ON
Serial: 73987759 MANUAL

WATER 82386920 11-321311 163 FERNWOOD DR 1.000 S 5/8" 8/22/2017  ON
Serial: 82386920 MANUAL

WATER 71458635 11-321312 110 FERNRIDGE CT 1.000 S-P 5/8 1/01/2010 3/29/2010  ON
Serial: 71458635 MANUAL 1/01/2010

WATER 67412774 11-321313 126 FERNRIDGE CT 1.000 S-P 5/8 1/01/2007 3/08/2007  ON

Serial: 67412774 MANUAL 1/01/2007
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DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 11 - BOOK 11
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 68692008 11-321314 150 FERNRIDGE CT 1.000 R-P 5/8 1/01/2008 1/16/2008  ON
Serial: 68692008 MANUAL 1/01/2008
WATER 70171253 11-321315 166 FERNRIDGE CT 1.000 R-P 5/8 1/01/2009 5/19/2009  ON
Serial: 70171253 MANUAL 1/01/2009
WATER 73988004 11-321316 184 FERNRIDGE CT 1.000 S 5/8" 10/02/2013  ON
Serial: 73988004 MANUAL

WATER 73988001 11-321317 188 FERNRIDGE CT 1.000 s 5/8" 10/02/2013  ON
Serial: 73988001 MANUAL

WATER 88239796 11-321318 200 FERNRIDGE CT 1.000 S 5/8" 3/04/2021  ON
Serial: 88239796 MANUAL

WATER 82386791 11-321320 206 FERNRIDGE CT 1.000 S 5/8" 8/22/2017  ON
Serial: 82386791 MANUAL

WATER 82386921 11-321321 207 FERNRIDGE CT 1.000 s 5/8" 8/22/2017  ON
Serial: 82386921 MANUAL

WATER 84007944 11-321322 203 FERNRIDGE CT 1.000 s 5/8" 3/28/2018  ON
Serial: 84007944 MANUAL

WATER 80003426 11-321323 193 FERNRIDGE CT 1.000 S 5/8" 9/21/2016  ON
Serial: 80003426 MANUAL

WATER 71458630 11-321338 187 FERNRIDGE CT 1.000 S-P 5/8 1/01/2010 3/29/2010 ON
Serial: 71458630 MANUAL 1/01/2010

WATER 75618756 11-321339 183 FERNRIDGE CT 1.000 s 5/8" 4/28/2014  ON
Serial: 75618756 MANUAL

WATER 71458632 11-321340 163 FERNRIDGE CT 1.000 S-P 5/8 1/01/2010 3/29/2010 ON
Serial: 71458632 MANUAL 1/01/2010

WATER 68692047 11-321341 151 FERNRIDGE CT 1.000 R-P 5/8 1/01/2008 1/16/2008  ON
Serial: 68692047 MANUAL 1/01/2008

WATER 67640916 11-321342 141 FERNRIDGE CT 1.000 S-P 5/8 1/01/2007 3/08/2007  ON
Serial: 67640916 MANUAL 1/01/2007

WATER 67640914 11-321343 133 FERNRIDGE CT 1.000 S-P 5/8 1/01/2007 3/08/2007  ON
Serial: 67640914 MANUAL 1/01/2007

WATER 70171625 11-321344 123 FERNRIDGE CT 1.000 S-P 5/8 1/01/2009 4/16/2009  ON
Serial: 70171625 MANUAL 1/01/2009

WATER 67640915 11-321345 117 FERNWOOD DR 1.000 S-P 5/8 1/01/2007 3/08/2007  ON
Serial: 67640915 MANUAL 1/01/2007

WATER 67640736 11-321346 105 FERNWOOD DR 1.000 S-P 1/01/2007 3/08/2007  ON
Serial: 67640736 MANUAL 1/01/2007

WATER 75618758 11-321347 518 FERNWOOD DR 1.000 S 5/8" 4/28/2014  ON
Serial: 75618758 MANUAL

WATER 80003488 11-321348 530 WOODLAND DR 1.000 s 5/8" 9/21/2016  ON
Serial: 80003488 MANUAL

WATER 82386499 11-321349 538 WOODLAND DR 1.000 S 5/8" 10/18/2017  ON
Serial: 82386499 MANUAL

WATER 84007985 11-321350 550 WOODLAND DR 1.000 S 5/8" 3/19/2018  ON
Serial: 84007985 MANUAL

WATER 84008060 11-321351 104 SPINNAKER CT 1.000 S 5/8" 3/22/2018  ON
Serial: 84008060 MANUAL

WATER 82386489 11-321355 124 SPINNAKER CT 1.000 S 5/8" 8/22/2017  ON
Serial: 82386489 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 112

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 11 - BOOK 11

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 71458513 11-321356 130 SPINNAKER ST 1.000 S 5/8" 3/16/2011 3/16/2011  ON
Serial: 71458513 MANUAL

WATER 75618598 11-321357 125 SPINNAKER CT 1.000 s 5/8" 3/24/2015  ON
Serial: 75618598 MANUAL

WATER 75618603 11-321358 117 SPINNAKER CT 1.000 S 5/8" 3/24/2015  ON
Serial: 75618603 MANUAL

WATER 80003427 11-321359 113 SPINNAKER CT 1.000 S 5/8" 9/21/2016  ON
Serial: 80003427 MANUAL

WATER 71458466 11-321361 126 NEWBERRY CT 1.000 S 5/8" 3/16/2011 3/16/2011  ON
Serial: 71458466 MANUAL

WATER 63056475 11-321365 146 NEWBERRY CT 1.000 S-P 5/8 1/01/2006 8/18/2006  ON
Serial: 63056475 MANUAL

WATER 54578812 11-321366 141 NEWBERRY CT 1.000 S-P 5/8 1/01/2000 0/00/2000  ON
Serial: 54578812 MANUAL 1/01/2000

WATER 71458463 11-321367 137 NEWBERRY CT 1.000 S 5/8" 3/16/2011 3/16/2011  ON
Serial: 71458463 MANUAL

WATER 84008061 11-321374 131 NEWBERRY CT 1.000 S 5/8" 3/22/2018  ON
Serial: 84008061 MANUAL

WATER 82386517 11-321375 511 WOODLAND DR 1.000 S 5/8" 8/22/2017  ON
Serial: 82386517 MANUAL

WATER 67640735 11-321376 495 WOODLAND DR 1.000 S-P 5/8 1/01/2007 3/08/2007  ON
Serial: 67640735 MANUAL 1/01/2007

WATER 86011660 11-321378 469 WOODLAND DR 1.000 S 5/8" 8/22/2019  ON
Serial: 86011660 MANUAL

WATER 82386419 11-321379 461 WOODLAND DR 1.000 S 5/8" 8/22/2017  ON
Serial: 82386419 MANUAL

WATER 82386418 11-321380 453 WOODLAND DR 1.000 s 5/8" 8/24/2017  ON
Serial: 82386418 MANUAL

WATER 80003475 11-321381 449 WOODLAND DR 1.000 S 5/8" 9/21/2016  ON
Serial: 80003475 MANUAL

WATER 82386414 11-321382 443 WOODLAND DR 1.000 S 5/8" 8/22/2017  ON
Serial: 82386414 MANUAL

WATER 82386545 11-321383 435 WOODLAND DR 1.000 S 5/8" 8/24/2017  ON
Serial: 82386545 MANUAL

WATER 80003390 11-321385 417 WOODLAND DR 1.000 S 5/8" 9/21/2016  ON
Serial: 80003390 MANUAL

WATER 82386416 11-321387 405 WOODLAND DR 1.000 S 5/8" 8/24/2017  ON
Serial: 82386416 MANUAL

WATER 86011739 11-321388 397 WOODLAND DR 1.000 s 5/8" 8/19/2020  ON
Serial: 86011739 MANUAL

WATER 86011738 11-321389 389 WOODLAND DR 1.000 S 5/8" 8/19/2020  ON
Serial: 86011738 MANUAL

WATER 67640733 11-321390 381 WOODLAND DR 1.000 S-P 5/8 1/01/2007 3/08/2007  ON
Serial: 67640733 MANUAL 1/01/2007

WATER 82386415 11-321391 369 WOODLAND DR 1.000 S 5/8" 8/24/2017  ON
Serial: 82386415 MANUAL

WATER 80003388 11-321392 367 WOODLAND DR 1.000 S 5/8" 9/21/2016  ON

Serial: 80003388 MANUAL
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DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 11 - BOOK 11

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 75618602 11-321393 359 WOODLAND DR 1.000 S 5/8" 3/24/2015  ON
Serial: 75618602 MANUAL

WATER 80003386 11-321394 349 WOODLAND DR 1.000 s 5/8" 9/21/2016  ON
Serial: 80003386 MANUAL

WATER 80003389 11-321395 341 WOODLAND DR 1.000 S 5/8" 9/21/2016  ON
Serial: 80003389 MANUAL

WATER 80003072 11-321396 331 WOODLAND DR 1.000 S 5/8" 9/22/2016  ON
Serial: 80003072 MANUAL

WATER 80003069 11-321397 327 WOODLAND DR 1.000 S 5/8" 9/22/2016  ON
Serial: 80003069 MANUAL

WATER 80003071 11-321398 319 WOODLAND DR 1.000 S 5/8" 9/22/2016  ON
Serial: 80003071 MANUAL

WATER 82386417 11-321399 307 WOODLAND DR 1.000 s 5/8" 8/24/2017  ON
Serial: 82386417 MANUAL

WATER 82386615 11-321400 301 WOODLAND DR 1.000 S 5/8" 8/24/2017  ON
Serial: 82386615 MANUAL

WATER 54773306 11-321401 120 ERIN DR 1.000 R-P 5/8 1/01/1999 11/08/1999 ON
Serial: 54773306 MANUAL 1/01/1999

WATER 67640912 11-321402 134 ERIN DR 1.000 S-P 5/8 1/01/2007 3/09/2007  ON
Serial: 67640912 MANUAL 1/01/2007

WATER 90301737 11-321403 114 JANE TERR 1.000 S 5/8" 6/15/2022  ON
Serial: 90301737 MANUAL

WATER 82386544 11-321404 122 JANE TERR 1.000 S 5/8" 8/24/2017  ON
Serial: 82386544 MANUAL

WATER 67640913 11-321405 132 JANE TERR 1.000 S-P 5/8 1/01/2007 3/09/2007  ON
Serial: 67640913 MANUAL 1/01/2007

WATER 67640911 11-321406 140 JANE TERR 1.000 S-P 5/8 1/01/2007 3/09/2007  ON
Serial: 67640911 MANUAL 1/01/2007

WATER 67640732 11-321407 146 JANE TERR 1.000 S-P 5/8 1/01/2007 3/09/2007  ON
Serial: 67640732 MANUAL 1/01/2007

WATER 82386540 11-321408 160 JANE TERR 1.000 S 5/8" 8/24/2017  ON
Serial: 82386540 MANUAL

WATER 86011659 11-321410 174 JANE TERR 1.000 S 5/8" 8/22/2019  ON
Serial: 86011659 MANUAL

WATER 82386295 11-321411 182 JANE TERR 1.000 S 5/8" 5/15/2017 ON
Serial: 82386295 MANUAL

WATER 84007989 11-321412 188 JANE TERR 1.000 S 5/8" 2/13/2019  ON
Serial: 84007989 MANUAL

WATER 90301625 11-321414 204 JANE TERR 1.000 s 5/8" 10/25/2023  ON
Serial: 90301625 MANUAL

WATER 82386382 11-321415 212 JANE TERR 1.000 S 5/8" 9/14/2017  ON
Serial: 82386382 MANUAL

WATER 82386383 11-321417 213 JANE TERR 1.000 S 5/8" 9/14/2017  ON
Serial: 82386383 MANUAL

WATER 59295829 11-321418 122 HANNAH WAY 1.000 S-P 5/8 1/01/2002 0/00/2000  ON
Serial: 59295829 MANUAL

WATER 82386638 11-321419 128 HANNAH WAY 1.000 s 5/8" 7/17/2017  ON

Serial: 82386638 MANUAL
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DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 11 - BOOK 11
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- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 82386378 11-321420 136 HANNAH WAY 1.000 S 5/8" 9/14/2017  ON
Serial: 82386378 MANUAL

WATER 86011662 11-321421 140 HANNAH WAY 1.000 s 5/8" 8/22/2019  ON
Serial: 86011662 MANUAL

WATER 84008062 11-321422 146 HANNAH WAY 1.000 S 5/8" 3/23/2018  ON
Serial: 84008062 MANUAL

WATER 75618618 11-321423 158 HANNAH WAY 1.000 s 5/8" 4/22/2015  ON
Serial: 75618618 MANUAL

WATER 86011663 11-321424 162 HANNAH WAY 1.000 S 5/8" 8/22/2019  ON
Serial: 86011663 MANUAL

WATER 84008063 11-321425 166 HANNAH WAY 1.000 S 5/8" 3/23/2018 ON
Serial: 84008063 MANUAL

WATER 84008016 11-321426 168 HANNAH WAY 1.000 S 5/8" 3/23/2018  ON
Serial: 84008016 MANUAL

WATER 88239388 11-321427 165 HANNAH WAY 1.000 s 5/8" 4/14/2021  ON
Serial: 88239388 MANUAL

WATER 82386379 11-321428 151 HANNAH WAY 1.000 S 5/8" 9/14/2017 ON
Serial: 82386379 MANUAL

WATER 82386380 11-321461 139 HANNAH WAY 1.000 S 5/8" 9/14/2017  ON
Serial: 82386380 MANUAL

WATER 86011703 11-321462 129 HANNAH WAY 1.000 S 5/8" 8/22/2019  ON
Serial: 86011703 MANUAL

WATER 82386381 11-321463 121 HANNAH WAY 1.000 S 5/8" 9/14/2017  ON
Serial: 82386381 MANUAL

WATER 84008017 11-321464 117 HANNAH WAY 1.000 s 5/8" 3/23/2018  ON
Serial: 84008017 MANUAL

WATER 71458631 11-321465 187 JANE TERR 1.000 S-P 5/8 1/01/2010 3/29/2010  ON
Serial: 71458631 MANUAL 1/01/2010

WATER 66213694 11-321466 181 JANE TERR 1.000 S-P 5/8 1/01/2006 3/16/2006  ON
Serial: 66213694 MANUAL 1/01/2006

WATER 82386610 11-321467 175 JANE TERR 1.000 S 5/8" 9/14/2017  ON
Serial: 82386610 MANUAL

WATER 82386606 11-321468 167 JANE TERR 1.000 S 5/8" 9/14/2017  ON
Serial: 82386606 MANUAL

WATER 82386607 11-321469 155 JANE TERR 1.000 S 5/8" 9/14/2017  ON
Serial: 82386607 MANUAL

WATER 82386609 11-321470 153 JANE TERR 1.000 S 5/8" 9/14/2017  ON
Serial: 82386609 MANUAL

WATER 82386608 11-321471 141 JANE TERR 1.000 s 5/8" 9/14/2017  ON
Serial: 82386608 MANUAL

WATER 67640731 11-321473 131 JANE TERR 1.000 S-P 5/8 1/01/2007 3/09/2007  ON
Serial: 67640731 MANUAL 1/01/2007

WATER 70171225 11-321480 111 JANE TERR 1.000 S-P 5/8 1/01/2009 4/16/2009  ON
Serial: 70171225 MANUAL 1/01/2009

WATER 75618719 11-321481 168 ERIN DR 1.000 S 5/8" 3/24/2015  ON
Serial: 75618719 MANUAL

WATER 70171627 11-321482 172 ERIN DR 1.000 S-P 5/8 1/01/2009 4/16/2009  ON

Serial: 70171627 MANUAL 1/01/2009
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DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 11 - BOOK 11
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 73988005 11-321510 186 ERIN DR 1.000 S 5/8" 10/02/2013  ON
Serial: 73988005 MANUAL
WATER 88239821 11-321511 200 ERIN DR 1.000 S 5/8" 8/19/2020  ON
Serial: 88239821 MANUAL
WATER 84008012 11-321515 206 ERIN DR 1.000 S 5/8" 3/23/2018  ON
Serial: 84008012 MANUAL
WATER 80003073 11-321516 205 ERIN DR 1.000 S 5/8" 9/22/2016  ON
Serial: 80003073 MANUAL
WATER 82386539 11-321550 199 ERIN DR 1.000 S 5/8" 9/14/2017  ON
Serial: 82386539 MANUAL
WATER 86011661 11-321600 191 ERIN DR 1.000 S 5/8" 8/22/2019  ON
Serial: 86011661 MANUAL
WATER 75618754 11-321650 193 ERIN DR 1.000 S 5/8" 4/28/2014  ON
Serial: 75618754 MANUAL
WATER 84008044 11-321651 187 ERIN DR 1.000 S 5/8" 2/28/2018  ON
Serial: 84008044 MANUAL
WATER 84008084 11-321652 177 ERIN DR 1.000 S 5/8" 4/19/2018  ON
Serial: 84008084 MANUAL
WATER 68692009 11-321653 173 ERIN DR 1.000 R-P 5/8 1/01/2008 1/16/2008  ON
Serial: 68692009 MANUAL 1/01/2008
WATER 68692048 11-321654 161 ERIN DR 1.000 S-P 5/8 1/01/2008 11/06/2007  ON
Serial: 68692048 MANUAL 1/01/2008
WATER 71032107 11-321655 151 ERIN DR 1.000 S-P 5/8 1/01/2010 3/18/2010 ON
Serial: 71032107 MANUAL 1/01/2010
WATER 54578696 11-321657 137 ERIN DR 1.000 s-P 5/8 1/01/1998 1/27/1999  ON
Serial: 54578696 MANUAL
WATER 70171222 11-321658 131 ERIN DR 1.000 S-P 5/8 1/01/2009 4/16/2009  ON
Serial: 70171222 MANUAL 1/01/2009
WATER 68692051 11-321659 123 ERIN DR 1.000 R-P 5/8 1/01/2008 1/16/2008  ON
Serial: 68692051 MANUAL 1/01/2008
WATER 67640734 11-321670 289 WOODLAND DR 1.000 S-P 5/8 1/01/2007 3/09/2007  ON
Serial: 67640734 MANUAL 1/01/2007
WATER 80003068 11-321671 285 WOODLAND DR 1.000 S 5/8" 9/22/2016  ON
Serial: 80003068 MANUAL
WATER 67640900 11-321672 273 WOODLAND DR 1.000 S-P 5/8 1/01/2007 3/09/2007  ON
Serial: 67640900 MANUAL 1/01/2007
WATER 67640903 11-321676 237 WOODLAND DR 1.000 s-P 5/8 1/01/2007 3/09/2007  ON
Serial: 67640903 MANUAL 1/01/2007
WATER 70171448 11-321678 239 WOODLAND DR 1.000 S-P 5/8 1/01/2009 2/09/2009  ON
Serial: 70171448 MANUAL 1/01/2009
WATER 67640901 11-321683 233 WOODLAND DR 1.000 S-P 5/8 1/01/2007 3/09/2007  ON
Serial: 67640901 MANUAL 1/01/2007
WATER 70171447 11-321684 221 WOODLAND DR 1.000 S-P 5/8 1/01/2009 2/09/2009  ON
Serial: 70171447 MANUAL 1/01/2009
WATER 67640904 11-321685 213 WOODLAND DR 1.000 S-P 5/8 1/01/2007 3/09/2007  ON
Serial: 67640904 MANUAL 1/01/2007
WATER 67640846 11-321686 205 WOODLAND DR 1.000 S-P 5/8 1/01/2007 3/14/2007  ON
Serial: 67640846 MANUAL 1/01/2007





2/11/2026 12:41 PM METER REPORT PAGE : 116
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 11 - BOOK 11
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 73681800 11-321687 199 WOODLAND DR 1.000 S 5/8" 8/07/2012  ON
Serial: 73681800 MANUAL
WATER 67640755 11-321688 193 WOODLAND DR 1.000 S-P 5/8 1/01/2007 3/14/2007  ON
Serial: 67640755 MANUAL 1/01/2007
WATER 67640850 11-321690 179 WOODLAND DR 1.000 S-P 5/8 1/01/2007 3/14/2007  ON
Serial: 67640850 MANUAL 1/01/2007
WATER 67640760 11-321692 175 WOODLAND DR 1.000 S-P 5/8 1/01/2007 3/14/2007  ON
Serial: 67640760 MANUAL 1/01/2007
WATER 67640847 11-321693 163 WOODLAND DR 1.000 S-P 5/8 1/01/2007 3/14/2007  ON
Serial: 67640847 MANUAL 1/01/2007
WATER 67640758 11-321694 155 WOODLAND DR 1.000 S-P 5/8 1/01/2007 3/14/2007  ON
Serial: 67640758 MANUAL 1/01/2007
WATER 70171444 11-321695 143 WOODLAND DR 1.000 S-P 5/8 1/01/2009 2/09/2009  ON
Serial: 70171444 MANUAL 1/01/2009
WATER 67640849 11-321697 131 WOODLAND DR 1.000 S-P 5/8 1/01/2007 3/14/2007  ON
Serial: 67640849 MANUAL 1/01/2007
WATER 60181471 11-321698 113 WOODLAND DR 1.000 S-P 5/8 1/01/2003 0/00/2000  ON
Serial: 60181471 MANUAL 1/01/2003
WATER 82386538 11-322000 584 AMELON RD 1.000 S 5/8" 9/14/2017  ON
Serial: 82386538 MANUAL
WATER 88239769 11-322500 594 AMELON RD 1.000 S 5/8" 8/20/2020  ON
Serial: 88239769 MANUAL
WATER 82386354 11-322505 606 AMELON RD 1.000 S 5/8" 3/19/2018 ON
Serial: 82386354 MANUAL
WATER 68692046 11-322600 614 AMELON RD 1.000 R-P 1/01/2008 1/16/2008  ON
Serial: 68692046 MANUAL 1/01/2008
WATER 70171364 11-322606 126 OAKLAND DR 1.000 S-P 5/8 1/01/2009 2/24/2009  ON
Serial: 70171364 MANUAL 1/01/2009
WATER 70171360 11-322607 140 OAKLAND DR 1.000 S-P 5/8 1/01/2009 2/24/2009  ON
Serial: 70171360 MANUAL 1/01/2009
WATER 70171362 11-322609 154 OAKLAND DR 1.000 S-P 5/8 1/01/2009 2/24/2009  ON
Serial: 70171362 MANUAL 1/01/2009
WATER 67640759 11-322610 162 OAKLAND DR 1.000 S-P 5/8 1/01/2007 3/14/2007  ON
Serial: 67640759 MANUAL 1/01/2007
WATER 70171359 11-322611 174 OAKLAND DR 1.000 S-P 5/8 1/01/2009 2/24/2009  ON
Serial: 70171359 MANUAL 1/01/2009
WATER 70171363 11-322612 182 OAKLAND DR 1.000 S-P 5/8 1/01/2009 2/24/2009  ON
Serial: 70171363 MANUAL 1/01/2009
WATER 70171361 11-322613 190 OAKLAND DR 1.000 S-P 5/8 1/01/2009 2/24/2009  ON
Serial: 70171361 MANUAL 1/01/2009
WATER 67640902 11-322615 200 OAKLAND DR 1.000 S-P 5/8 1/01/2007 3/14/2007  ON
Serial: 67640902 MANUAL 1/01/2007
WATER 67640848 11-322616 208 OAKLAND DR 1.000 S-P 5/8 1/01/2007 3/14/2007  ON
Serial: 67640848 MANUAL 1/01/2007
WATER 70171496 11-322617 220 OAKLAND DR 1.000 S-P 5/8 1/01/2009 2/24/2009  ON
Serial: 70171496 MANUAL 1/01/2009
WATER 70171582 11-322618 222 OAKLAND DR 1.000 S-P 5/8 1/01/2009 2/24/2009  ON
Serial: 70171582 MANUAL 1/01/2009





2/11/2026 12:41 PM METER REPORT PAGE : 117

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 11 - BOOK 11

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 67641066 11-322619 224 OAKLAND DR 1.000 R-P 5/8 1/01/2008 1/08/2008  ON
Serial: 67641066 MANUAL 1/01/2008
WATER 71458471 11-322700 226 OAKLAND DR 1.000 S 5/8" 11/08/2011 11/01/2011  ON
Serial: 71458471 MANUAL

WATER 67641098 11-322701 227 OAKLAND DR 1.000 R-P 5/8 1/01/2008 1/15/2008  ON
Serial: 67641098 MANUAL 1/01/2008

WATER 71488515 11-322703 221 OARKLAND DR 1.000 s 5/8" 12/02/2010  ON
Serial: 71488515 MANUAL

WATER 70171494 11-322704 213 OAKLAND DR 1.000 S-P 5/8 1/01/2009 2/24/2009  ON
Serial: 70171494 MANUAL 1/01/2009

WATER 70171581 11-322705 207 OAKLAND DR 1.000 S-P 5/8 1/01/2009 2/24/2009  ON
Serial: 70171581 MANUAL 1/01/2009

WATER 72853902 11-322706 199 OAKLAND DR 1.000 S 5/8" 3/21/2013  ON
Serial: 72853902 MANUAL

WATER 70171586 11-322707 189 OAKLAND DR 1.000 S-P 5/8 1/01/2009 2/24/2009  ON
Serial: 70171586 MANUAL 1/01/2009

WATER 70171584 11-322708 183 OAKLAND DR 1.000 S-P 5/8 1/01/2009 2/24/2009  ON
Serial: 70171584 MANUAL 1/01/2009

WATER 84007991 11-322709 175 OAKLAND DR 1.000 s 5/8" 2/13/2019  ON

Serial: 84007991 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 118

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 12 - BOOK 12

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 71032105 12-322715 126 STAGECOACH LN 1.000 S-P 5/8 1/01/2010 3/18/2010  ON
Serial: 71032105 MANUAL 1/01/2010

WATER 71032108 12-322716 116 ARROWHEAD DR 1.000 S-P 5/8 1/01/2010 3/18/2010  ON
Serial: 71032108 MANUAL 1/01/2010

WATER 71032104 12-322717 120 ARROWHEAD DR 1.000 S-P 5/8 1/01/2010 3/18/2010  OFF
Serial: 71032104 MANUAL 1/01/2010

WATER 71032149 12-322718 126 ARROWHEAD DR 1.000 S-P 5/8 1/01/2010 3/18/2010  ON
Serial: 71032149 MANUAL 1/01/2010

WATER 80003077 12-322720 146 ARROWHEAD DR 1.000 S 5/8" 9/22/2016  ON
Serial: 80003077 MANUAL

WATER 71032148 12-322721 152 ARROWHEAD DR 1.000 S-P 5/8 1/01/2010 6/18/2010  ON
Serial: 71032148 MANUAL 1/01/2010

WATER 72853786 12-322722 154 ARROWHEAD DR 1.000 S 5/8" 3/28/2013  ON
Serial: 72853786 MANUAL

WATER 72853808 12-322723 160 ARROWHEAD DR 1.000 s 5/8" 3/28/2013  ON
Serial: 72853808 MANUAL

WATER 71032145 12-322724 166 ARROWHEAD DR 1.000 S-P 5/8 1/01/2010 3/18/2010  ON
Serial: 71032145 MANUAL 1/01/2010

WATER 80003075 12-322725 172 ARROWHEAD DR 1.000 S 5/8" 9/22/2016  ON
Serial: 80003075 MANUAL

WATER 54773415 12-322726 182 ARROWHEAD DR 1.000 R-P 5/8 1/01/1998 3/25/1999  ON
Serial: 54773415 MANUAL 1/01/1998

WATER 70171221 12-322728 194 ARROWHEAD DR 1.000 S-P 5/8 1/01/2009 4/21/2009  ON
Serial: 70171221 MANUAL 1/01/2009

WATER 72853784 12-322730 206 ARROWHEAD DR 1.000 S 5/8" 3/28/2013  ON
Serial: 72853784 MANUAL

WATER 80003074 12-322731 214 ARROWHEAD DR 1.000 s 5/8" 9/22/2016  ON
Serial: 80003074 MANUAL

WATER 73987885 12-322732 224 ARROWHEAD DR 1.000 S 5/8" 2/02/2012 2/02/2012  ON
Serial: 73987885 MANUAL

WATER 80003076 12-322733 226 ARROWHEAD DR 1.000 S 5/8" 9/22/2016  ON
Serial: 80003076 MANUAL

WATER 80002827 12-322734 232 ARROWHEAD DR 1.000 S 5/8" 9/22/2016  ON
Serial: 80002827 MANUAL

WATER 80002588 12-322735 240 ARROWHEAD DR 1.000 S 5/8" 9/22/2016  ON
Serial: 80002588 MANUAL

WATER 70171516 12-322736 248 ARROWHEAD DR 1.000 S-P 5/8 1/01/2009 4/21/2009  ON
Serial: 70171516 MANUAL 1/01/2009

WATER 82386536 12-322737 254 ARROWHEAD DR 1.000 s 5/8" 9/14/2017  ON
Serial: 82386536 MANUAL

WATER 80002589 12-322738 266 ARROWHEAD DR 1.000 S 5/8" 9/22/2016  OFF
Serial: 80002589 1.000 MANUAL

WATER 70171628 12-322739 270 ARROWHEAD DR 1.000 S-P 5/8 1/01/2009 4/21/2009  ON
Serial: 70171628 MANUAL 1/01/2009

WATER 71458480 12-322740 272 ARROWHEAD DR 1.000 s 5/8" 4/21/2011  ON
Serial: 71458480 MANUAL

WATER 72853809 12-322741 273 ARROWHEAD DR 1.000 s 5/8" 4/11/2013  ON

Serial: 72853809 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 119
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 12 - BOOK 12
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 80002591 12-322744 271 ARROWHEAD DR 1.000 S 5/8" 9/22/2016  ON
Serial: 80002591 MANUAL
WATER 70171631 12-322745 267 ARROWHEAD DR 1.000 S-P 5/8 1/01/2009 2/26/2009  ON
Serial: 70171631 MANUAL 1/01/2009
WATER 70171226 12-322746 261 ARROWHEAD DR 1.000 R-P 5/8 1/01/2009 4/21/2009  ON
Serial: 70171226 MANUAL 1/01/2009
WATER 70171184 12-322747 251 ARROWHEAD DR 1.000 R-P 5/8 1/01/2009 9/25/2009  ON
Serial: 70171184 MANUAL 1/01/2009
WATER 80002590 12-322748 233 ARROWHEAD DR 1.000 S 5/8" 9/22/2016  ON
Serial: 80002590 MANUAL
WATER 70171367 12-322749 225 ARROWHEAD DR 1.000 S-P 5/8 1/01/2009 2/26/2009  ON
Serial: 70171367 MANUAL 1/01/2009
WATER 67640757 12-322750 209 ARROWHEAD DR 1.000 S-P 5/8 1/01/2007 3/14/2007  ON
Serial: 67640757 MANUAL 1/01/2007
WATER 54773436 12-322751 199 ARROWHEAD DR 1.000 R-P 5/8 1/01/1998 2/25/1999  ON
Serial: 54773436 MANUAL 1/01/1998
WATER 80003363 12-322752 193 ARROWHEAD DR 1.000 S 5/8" 9/22/2016  ON
Serial: 80003363 MANUAL
WATER 54773414 12-322753 185 ARROWHEAD DR 1.000 R-P 1/01/1998 2/25/1999  ON
Serial: 54773414 MANUAL 1/01/1998
WATER 70171634 12-322754 167 ARROWHEAD DR 1.000 S-P 5/8 1/01/2009 2/26/2009  ON
Serial: 70171634 MANUAL 1/01/2009
WATER 71032146 12-322755 149 ARROWHEAD DR 1.000 S-P 5/8 1/01/2010 3/18/2010 ON
Serial: 71032146 MANUAL 1/01/2010
WATER 54773354 12-322756 145 ARROWHEAD DR 1.000 R-P 5/8 1/01/1998 4/20/1999  ON
Serial: 54773354 MANUAL 1/01/1998
WATER 72853782 12-322757 120 CARRIAGE PL 1.000 s 5/8" 3/28/2013  ON
Serial: 72853782 MANUAL
WATER 72853806 12-322758 126 CARRIAGE PL 1.000 S 5/8" 3/28/2013  ON
Serial: 72853806 MANUAL
WATER 72853781 12-322760 131 CARRIAGE PL 1.000 S 5/8" 3/28/2013 ON
Serial: 72853781 MANUAL
WATER 72853807 12-322761 129 CARRIAGE PL 1.000 S 5/8" 3/29/2013 ON
Serial: 72853807 MANUAL
WATER 82386537 12-322762 121 CARRIAGE PL 1.000 S 5/8" 9/14/2017  ON
Serial: 82386537 MANUAL
WATER 71032150 12-322764 119 ARROWHEAD DR 1.000 S-P 5/8 1/01/2010 3/18/2010  ON
Serial: 71032150 MANUAL 1/01/2010
WATER 71032147 12-322765 113 ARROWHEAD DR 1.000 S-P 5/8 1/01/2010 3/18/2010  ON
Serial: 71032147 MANUAL 1/01/2010
WATER 72853766 12-322766 148 STAGE COACH LN 1.000 S 5/8" 3/29/2013  ON
Serial: 72853766 MANUAL
WATER 82386882 12-322767 150 STAGE COACH LN 1.000 S 5/8" 9/18/2017  ON
Serial: 82386882 MANUAL
WATER 54773432 12-322768 154 STAGE COACH LN 1.000 R-P 5/8 1/01/1998 2/22/1999  ON
Serial: 54773432 MANUAL 1/01/1998
WATER 70171181 12-322770 172 STAGE COACH LN 1.000 R-P 5/8 1/01/2009 9/25/2009  ON
Serial: 70171181 MANUAL 1/01/2009





2/11/2026 12:41 PM METER REPORT PAGE : 120
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 12 - BOOK 12
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 72853764 12-322771 176 STAGE COACH LN 1.000 S 5/8" 3/29/2013  ON
Serial: 72853764 MANUAL
WATER 72853768 12-322772 182 STAGE COACH LN 1.000 S 5/8" 3/29/2013  ON
Serial: 72853768 MANUAL
WATER 72853765 12-322773 184 STAGE COACH LN 1.000 S 5/8" 3/29/2013  ON
Serial: 72853765 MANUAL
WATER 70171370 12-322774 185 STAGE COACH LN 1.000 S-P 5/8 1/01/2009 2/26/2009  ON
Serial: 70171370 MANUAL 1/01/2009
WATER 73987772 12-322775 183 STAGE COACH LN 1.000 S 5/8" 3/27/2012 3/27/2012  ON
Serial: 73987772 MANUAL
WATER 73987777 12-322776 175 STAGE COACH LN 1.000 S 5/8" 3/27/2012 3/27/2012  ON
Serial: 73987777 MANUAL
WATER 54773433 12-322777 151 STAGE COACH LN 1.000 R-P 5/8 1/01/1998 2/22/1999  ON
Serial: 54773433 MANUAL 1/01/1998
WATER 54773431 12-322778 137 STAGE COACH LN 1.000 R-P 5/8 1/01/1998 2/22/1999  ON
Serial: 54773431 MANUAL 1/01/1998
WATER 75618718 12-322779 135 STAGE COACH LN 1.000 S 5/8" 3/24/2015  ON
Serial: 75618718 MANUAL
WATER 80003079 12-322780 125 STAGE COACH LN 1.000 S 5/8" 9/22/2016  ON
Serial: 80003079 MANUAL
WATER 70171224 12-322816 151 OAKLAND DR 1.000 R-P 5/8 1/01/2009 4/21/2009  ON
Serial: 70171224 MANUAL 1/01/2009
WATER 68691843 12-322818 143 OAKLAND DR 1.000 R-P 5/8 1/01/2009 1/21/2009  ON
Serial: 68691843 MANUAL 1/01/2009
WATER 68691846 12-322820 135 OAKLAND DR 1.000 R-P 1/01/2009 1/21/2009  ON
Serial: 68691846 MANUAL 1/01/2009
WATER 67640756 12-322822 129 OAKLAND DR 1.000 S-P 5/8 1/01/2007 3/14/2007  ON
Serial: 67640756 MANUAL 1/01/2007
WATER 71458460 12-322824 125 OAKLAND DR 1.000 S-P 5/8 1/01/2010 4/13/2010  ON
Serial: 71458460 MANUAL 1/01/2010
WATER 67640718 12-323000 630 AMELON RD 1.000 S-P 1/01/2007 3/14/2007  ON
Serial: 67640718 MANUAL 1/01/2007
WATER 67640717 12-323100 636 AMELON RD 1.000 S-P 5/8 1/01/2007 3/14/2007  ON
Serial: 67640717 MANUAL 1/01/2007
WATER 67640713 12-323200 644 AMELON RD 1.000 S-P 5/8 1/01/2007 3/14/2007  ON
Serial: 67640713 MANUAL 1/01/2007
WATER 67640724 12-323205 652 AMELON RD 1.000 S-P 5/8 1/01/2007 3/20/2007  ON
Serial: 67640724 MANUAL 1/01/2007
WATER 67640723 12-323300 662 AMELON RD 1.000 S-P 5/8 1/01/2007 3/20/2007  ON
Serial: 67640723 MANUAL 1/01/2007
WATER 80003070 12-323400 670 AMELON RD 1.000 S 5/8" 9/22/2016  ON
Serial: 80003070 MANUAL
WATER 73681777 12-323405 682 AMELON RD 1.000 S 5/8" 5/29/2012 5/29/2012  ON
Serial: 73681777 MANUAL
WATER 68691847 12-323407 708 AMELON RD 1.000 R-P 5/8 1/01/2009 1/21/2009  ON
Serial: 68691847 MANUAL 1/01/2009
WATER 80003078 12-323415 734 AMELON RD 1.000 S 5/8" 9/22/2016  ON
Serial: 80003078 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 121
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 12 - BOOK 12
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 68691844 12-323418 752 AMELON RD 1.000 R-P 5/8 1/01/2009 1/21/2009  ON
Serial: 68691844 MANUAL 1/01/2009
WATER 90301793 12-323422 798 AMELON RD 1.000 S 5/8" 10/08/2021  ON
Serial: 90301793 MANUAL

WATER 54773327 12-323429 916 AMELON RD 1.000 S-P 5/8 1/01/1998 3/03/2000  ON
Serial: 54773327 MANUAL

WATER 54773323 12-323430 922 AMELON RD 1.000 S-P 5/8 1/01/1998 3/03/2000  ON
Serial: 54773323 MANUAL 1/01/1998

WATER 54578819 12-323431 926 AMELON RD 1.000 S-P 5/8 1/01/1998 3/03/2000  ON
Serial: 54578819 MANUAL

WATER 54578818 12-323432 944 AMELON RD 1.000 S-P 5/8 1/01/1998 3/05/2000  ON
Serial: 54578818 MANUAL

WATER 56458119 12-323435 958 AMELON RD 1.000 S-P 5/8 1/01/1999 2/20/2001  ON
Serial: 56458119 MANUAL

WATER 82386534 12-323440 943 AMELON RD 1.000 s 5/8" 9/14/2017  ON
Serial: 82386534 MANUAL

WATER 68691842 12-323445 931 AMELON RD 1.000 R-P 5/8 1/01/2009 1/21/2009 ON
Serial: 68691842 MANUAL 1/01/2009

WATER 88239994 12-323447 889 AMELON RD 1.000 S 5/8" 5/22/2020  ON
Serial: 88239994 MANUAL

WATER 68691845 12-323450 909 AMELON RD 1.000 R-P 5/8 1/01/2009 1/21/2009  ON
Serial: 68691845 MANUAL 1/01/2009

WATER 68692041 12-323451 1072 DIXIE AIRPORT RD 1.000 R-P 5/8 1/01/2009 1/21/2009  OFF
Serial: 68692041 MANUAL 1/01/2009

WATER 86011727 12-323452 1074 DIXIE AIRPORT RD 1.000 s 5/8" 12/30/2019  ON
Serial: 86011727 MANUAL

WATER 86011784 12-323453 1080 DIXIE AIRPORT RD 1.000 s 5/8" 8/22/2019  ON
Serial: 86011784 MANUAL

WATER 84008013 12-323454 1064 DIXIE AIRPORT RD 1.000 S 5/8" 3/23/2018  ON
Serial: 84008013 MANUAL

WATER 86011650 12-323455 911 AMELON RD 1.000 S 5/8" 3/11/2020 3/11/2020 ON
Serial: 86011650 MANUAL

WATER 80002997 12-323456 1106 DIXIE AIRPORT RD 1.000 s 5/8" 11/04/2020  ON
Serial: 80002997 MANUAL

WATER 86011939 12-323457 805 AMELON RD 1.000 s 5/8" 1/31/2019  OFF
Serial: 86011939 1.000 MANUAL

WATER 72853834 12-323459 793 AMELON RD 1.000 S 5/8" 5/21/2013  ON
Serial: 72853834 MANUAL

WATER 59011066 12-323460 791 AMELON RD 1.000 R-P 5/8 1/01/2002 2/28/2002  ON
Serial: 59011066 MANUAL 1/01/2002

WATER 67640720 12-323461 783 AMELON RD 1.000 S-P 5/8 1/01/2007 3/20/2007  ON
Serial: 67640720 MANUAL 1/01/2007

WATER 72853801 12-323463 761 AMELON RD 1.000 S 5/8" 5/21/2013 ON
Serial: 72853801 MANUAL

WATER 80002742 12-323464 757 AMELON RD 1.000 S 5/8" 9/28/2016  ON
Serial: 80002742 MANUAL

WATER 58613019 12-323465 737 AMELON RD 1.000 R-P 5/8 1/01/2001 0/00/2000  ON
Serial: 58613019 MANUAL 1/01/2001





2/11/2026 12:41 PM METER REPORT PAGE : 122

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 12 - BOOK 12

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 84008108 12-323480 709 AMELON RD 1.000 S 5/8" 3/26/2018  ON
Serial: 84008108 MANUAL

WATER 73681792 12-323500 679 AMELON RD 1.000 S 5/8" 6/26/2012 6/26/2012  ON

MANUAL

WATER 59011073 12-323700 675 AMELON RD 1.000 R-P 5/8 1/01/2002 2/28/2002  ON
Serial: 59011073 MANUAL 1/01/2002

WATER 68692044 12-323800 659 AMELON RD 1.000 R-P 5/8 1/01/2009 1/22/2009  ON
Serial: 68692044 MANUAL 1/01/2009

WATER 80002743 12-323900 128 MELWOOD DR 1.000 S 5/8" 9/28/2016  ON
Serial: 80002743 MANUAL

WATER 80002760 12-323910 120 LONGWOOD PL D 1.000 S 5/8" 9/28/2016  ON
Serial: 80002760 MANUAL

WATER 80002761 12-323911 120 LONGWOOD PL C 1.000 S 5/8" 9/28/2016  ON
Serial: 80002761 MANUAL

WATER 80002757 12-323912 120 LONGWOOD PL B 1.000 S 5/8" 9/28/2016  ON
Serial: 80002757 MANUAL

WATER 80002758 12-323913 120 LONGWOOD PL A 1.000 S 5/8" 9/28/2016  ON
Serial: 80002758 MANUAL

WATER 80002738 12-323915 130 LONGWOOD PL B 1.000 S 5/8" 9/28/2016  ON
Serial: 80002738 MANUAL

WATER 80002739 12-323916 130 LONGWOOD PL C 1.000 s 5/8" 9/28/2016  ON
Serial: 80002739 MANUAL

WATER 58612976 12-323917 130 LONGWOOD PL A 1.000 R-P 5/8 1/01/2001 2/28/2002  ON
Serial: 58612976 MANUAL 1/01/2001

WATER 80002740 12-323918 130 LONGWOOD PL D 1.000 S 5/8" 9/28/2016  ON
Serial: 80002740 MANUAL

WATER 59011074 12-323920 142 LONGWOOD PL 101 1.000 R-P 1/01/2002 2/28/2002  ON
Serial: 59011074 MANUAL 1/01/2002

WATER 59011065 12-323921 142 LONGWOOD PL 102 1.000 R-P 1/01/2002 2/28/2002  ON
Serial: 59011065 MANUAL 1/01/2002

WATER 80002741 12-323925 146 LONGWOOD PL 101 1.000 S 5/8" 9/28/2016  ON
Serial: 80002741 MANUAL

WATER 80002759 12-323926 146 LONGWOOD PL 102 1.000 S 5/8" 9/28/2016  ON
Serial: 80002759 MANUAL

WATER 80002756 12-323927 146 LONGWOOD PL 103 1.000 S 5/8" 9/28/2016  ON
Serial: 80002756 MANUAL

WATER 80003462 12-323930 147 LONGWOOD PL A 1.000 s 5/8" 9/28/2016  OFF
Serial: 80003462 1.000 MANUAL

WATER 90301626 12-323931 147 LONGWOOD PL B 1.000 S 5/8" 12/15/2023  ON
Serial: 90301626 MANUAL

WATER 80003463 12-323932 147 LONGWOOD PL C 1.000 s 5/8" 9/28/2016  OFF
Serial: 80003463 1.000 MANUAL

WATER 80003461 12-323933 147 LONGWOOD PL D 1.000 S 5/8" 9/28/2016  OFF
Serial: 80003461 1.000 MANUAL

WATER 80003445 12-323935 143 LONGWOOD PL B 1.000 S 5/8" 9/28/2016  ON
Serial: 80003445 MANUAL

WATER 80003444 12-323936 143 LONGWOOD PL A 1.000 S 5/8" 9/28/2016  ON

Serial: 80003444 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 123
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT

DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes

DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999

BOOK: 12 - BOOK 12
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
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2/11/2026 12:41 PM METER REPORT PAGE : 124

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 12 - BOOK 12

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 96688939 12-324092 116 AMWOOD PL 1.000 S 5/8" 12/26/2024  ON
Serial: 96688939 MANUAL

WATER 80002686 12-324094 117 AMWOOD PL 1.000 S 5/8" 9/28/2016  ON
Serial: 80002686 MANUAL

WATER 80002689 12-324096 113 AMWOOD PL 1.000 S 5/8" 9/28/2016  ON
Serial: 80002689 MANUAL

WATER 80003134 12-324098 109 AMWOOD PL 1.000 S 5/8" 9/28/2016  ON
Serial: 80003134 MANUAL

WATER 75618721 12-324400 649 AMELON RD 1.000 S 5/8" 3/24/2015  ON
Serial: 75618721 MANUAL

WATER 67640722 12-324500 635 AMELON RD 1.000 S-P 5/8 1/01/2007 3/20/2007  ON
Serial: 67640722 MANUAL 1/01/2007

WATER 72853839 12-324550 627 AMELON RD 1.000 s 5/8" 5/22/2013  ON
Serial: 72853839 MANUAL

WATER 90301627 12-324600 621 AMELON RD 1.000 S 5/8" 4/20/2022  ON
Serial: 90301627 MANUAL

WATER 67640776 12-324601 609 AMELON RD 1.000 S-P 5/8 1/01/2007 3/23/2007  ON
Serial: 67640776 MANUAL 1/01/2007

WATER 90301745 12-324610 599 AMELON RD 1.000 s 5/8" 4/20/2022  ON
Serial: 90301745 MANUAL

WATER 88239771 12-324700 595 AMELON RD 1.000 S 5/8" 8/20/2020  ON
Serial: 88239771 MANUAL

WATER 75618720 12-324800 577 AMELON RD 1.000 S 5/8" 3/24/2015  ON
Serial: 75618720 MANUAL

WATER 59660620 12-324810 549 AMELON RD 1.000 R-P 5/8 1/01/2002 4/12/2002  ON
Serial: 59660620 MANUAL 1/01/2002

WATER 68692040 12-324900 112 WEST BETHEL DR 1.000 R-P 5/8 1/01/2009 1/22/2009  ON
Serial: 68692040 MANUAL 1/01/2009

WATER 75618678 12-324901 134 WEST BETHEL DR 1.000 S 5/8" 9/05/2014  ON
Serial: 75618678 MANUAL

WATER 68692042 12-324902 138 WEST BETHEL DR 1.000 R-P 5/8 1/01/2009 1/23/2009  OFF
Serial: 68692042 MANUAL 1/01/2009

WATER 72853871 12-324903 146 WEST BETHEL DR 1.000 s 5/8" 7/17/2013  ON
Serial: 72853871 MANUAL

WATER 88239740 12-324904 154 WEST BETHEL DR 1.000 S 5/8" 8/20/2020  ON
Serial: 88239740 MANUAL

WATER 73681856 12-324905 162 WEST BETHEL DR 1.000 S 5/8" 4/04/2012  ON
Serial: 73681856 MANUAL

WATER 96688966 12-324906 168 WEST BETHEL DR 1.000 S-IPRL  5/8" 3/11/2025  ON
Serial: 96688966 MANUAL

WATER 71032103 12-324907 176 WEST BETHEL DR 1.000 S-P 5/8 1/01/2010 3/24/2010  ON
Serial: 71032103 MANUAL 1/01/2010

WATER 73681784 12-325001 188 WEST BETHEL DR 1.000 S 5/8" 5/29/2012 5/29/2012  ON
Serial: 73681784 MANUAL

WATER 73681779 12-325002 196 WEST BETHEL DR 1.000 S 5/8" 5/29/2012 5/29/2012 ON
Serial: 73681779 MANUAL

WATER 72853799 12-325003 204 WEST BETHEL DR 1.000 S 5/8" 5/22/2013 ON

Serial: 72853799 MANUAL





2/11/2026 12:41 PM METER REPORT PAGE : 125

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 12 - BOOK 12

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 72853802 12-325004 212 WEST BETHEL DR 1.000 S 5/8" 5/22/2013  ON
Serial: 72853802 MANUAL

WATER 100933518 12-325005 228 WEST BETHEL DR 1.000 S-IPRL  5/8" 11/03/2025  ON
Serial: 100933518 MANUAL

WATER 73681782 12-325006 230 WEST BETHEL DR 1.000 S 5/8" 5/29/2012 5/29/2012  ON
Serial: 73681782 MANUAL

WATER 73681780 12-325007 238 WEST BETHEL DR 1.000 S 5/8" 5/29/2012 5/29/2012  ON
Serial: 73681780 MANUAL

WATER 82386532 12-325008 246 WEST BETHEL DR 1.000 s 5/8" 1/07/2018  ON
Serial: 82386532 MANUAL

WATER 73987882 12-325009 248 WEST BETHEL DR 1.000 S 5/8" 2/02/2012 2/02/2012  ON
Serial: 73987882 MANUAL

WATER 80003137 12-325011 247 WEST BETHEL DR 1.000 s 5/8" 9/28/2016  ON
Serial: 80003137" MANUAL

WATER 73987893 12-325012 239 WEST BETHEL DR 1.000 S 5/8" 2/02/2012 2/02/2012  ON
Serial: 73987893 MANUAL

WATER 80003136 12-325013 233 WEST BETHEL DR 1.000 S 5/8" 9/28/2016  ON
Serial: 80003136 MANUAL

WATER 72853829 12-325014 229 WEST BETHEL DR 1.000 S 5/8" 5/22/2013  ON
Serial: 72853829 MANUAL

WATER 73987953 12-325015 221 WEST BETHEL DR 1.000 S 5/8" 3/21/2012 3/21/2012  ON
Serial: 73987953 MANUAL

WATER 73987955 12-325016 203 WEST BETHEL DR 1.000 S 5/8" 3/21/2012 3/21/2012 ON
Serial: 73987955 MANUAL

WATER 72853800 12-325017 199 WEST BETHEL DR 1.000 S 5/8" 5/22/2013  ON
Serial: 72853800 MANUAL

WATER 80003135 12-325315 106 WILLIAM DR 1.000 S 5/8" 9/28/2016  ON
Serial: 80003135 MANUAL

WATER 80003138 12-325316 114 WILLIAM DR 1.000 S 5/8" 9/28/2016  ON
Serial: 80003138 MANUAL

WATER 88239768 12-325317 122 WILLIAM DR 1.000 S 5/8" 8/20/2020  ON
Serial: 88239768 MANUAL

WATER 68691914 12-325318 128 WILLIAM DR 1.000 R-P 5/8 1/01/2009 1/23/2009  ON
Serial: 68691914 MANUAL 1/01/2009

WATER 68691915 12-325319 136 WILLIAM DR 1.000 R-P 5/8 1/01/2009 1/23/2009  ON
Serial: 68691915 MANUAL 1/01/2009

WATER 68691916 12-325320 148 WILLIAM DR 1.000 R-P 5/8 1/01/2009 1/23/2009  ON
Serial: 68691916 MANUAL 1/01/2009

WATER 68691917 12-325321 152 WILLIAM DR 1.000 R-P 5/8 1/01/2009 1/23/2009  ON
Serial: 68691917 MANUAL 1/01/2009

WATER 68691918 12-325322 156 WILLIAM DR 1.000 R-P 5/8 1/01/2009 1/23/2009  ON
Serial: 68691918 MANUAL 1/01/2009

WATER 71458588 12-325323 158 WILLIAM DR 1.000 S-P 5/8 1/01/2010 4/13/2010  ON
Serial: 71458588 MANUAL 1/01/2010

WATER 68691919 12-325324 159 WILLIAM DR 1.000 R-P 5/8 1/01/2009 1/26/2009  ON
Serial: 68691919 MANUAL 1/01/2009

WATER 68691872 12-325325 153 WILLIAM DR 1.000 R-P 5/8 1/01/2009 1/26/2009  ON

Serial: 68691872 MANUAL 1/01/2009





2/11/2026 12:41 PM METER REPORT PAGE : 126

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 12 - BOOK 12

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 96689038 12-325326 143 WILLIAM DR 1.000 S 5/8" 10/31/2024  ON
Serial: 96689038 MANUAL

WATER 68691874 12-325327 135 WILLIAM DR 1.000 R-P 5/8 1/01/2009 1/26/2009  ON
Serial: 68691874 MANUAL 1/01/2009

WATER 84008098 12-325328 127 WILLIAM DR 1.000 S 5/8" 1/28/2019  ON
Serial: 84008098 MANUAL

WATER 71458535 12-325329 115 WILLIAM DR 1.000 S-P 5/8 1/01/2010 4/13/2010  ON
Serial: 71458535 MANUAL 1/01/2010

WATER 71032153 12-325330 107 WILLIAM DR 1.000 S-P 5/8 1/01/2010 3/24/2010  ON
Serial: 71032153 MANUAL 1/01/2010

WATER 59011068 12-325331 106 HOWARD DR 1.000 R-P 5/8 1/01/2002 2/28/2002  ON
Serial: 59011068 MANUAL 1/01/2002

WATER 71458534 12-325332 114 HOWARD DR 1.000 S-P 5/8 1/01/2010 4/13/2010  ON
Serial: 71458534 MANUAL 1/01/2010

WATER 80003139 12-325333 122 HOWARD DR 1.000 s 5/8" 9/28/2016  ON
Serial: 80003139 MANUAL

WATER 59011130 12-325334 132 HOWARD DR 1.000 R-P 5/8 1/01/2002 6/14/2002  ON
Serial: 59011130 MANUAL 1/01/2002

WATER 90301736 12-325335 142 HOWARD DR 1.000 S 5/8" 6/16/2022  ON
Serial: 90301736 MANUAL

WATER 59295680 12-325336 152 HOWARD DR 1.000 R-P 5/8 1/01/2002 2/28/2002  ON
Serial: 59295680 MANUAL 1/01/2002

WATER 82386359 12-325337 157 HOWARD DR 1.000 S 5/8" 9/14/2017  ON
Serial: 82386359 MANUAL

WATER 71458574 12-325338 155 HOWARD DR 1.000 S-P 5/8 1/01/2010 3/24/2010  ON
Serial: 71458574 MANUAL 1/01/2010

WATER 82386357 12-325339 153 HOWARD DR 1.000 s 5/8" 9/14/2017  ON
Serial: 82386357 MANUAL

WATER 82386586 12-325340 145 HOWARD DR 1.000 S 5/8" 9/25/2017  ON
Serial: 82386586 MANUAL

WATER 80002694 12-325341 114 SPURLOCK CIR 1.000 S 5/8" 9/28/2016  ON
Serial: 80002694 MANUAL

WATER 82386356 12-325342 115 SPURLOCK CR 1.000 S 5/8" 9/14/2017  ON
Serial: 82386356 MANUAL

WATER 71458573 12-325343 113 SPURLOCK CIR 1.000 S-P 1/01/2010 3/24/2010  ON
Serial: 71458573 MANUAL 1/01/2010

WATER 80002695 12-325344 131 HOWARD DR 1.000 S 5/8" 9/28/2016  ON
Serial: 80002695 MANUAL

WATER 80002693 12-325345 123 HOWARD DR 1.000 s 5/8" 9/28/2016  ON
Serial: 80002693 MANUAL

WATER 80002690 12-325346 115 HOWARD DR 1.000 S 5/8" 9/28/2016  ON
Serial: 80002690 MANUAL

WATER 71458537 12-325347 107 HOWARD DR 1.000 S-P 1/01/2010 4/13/2010  ON
Serial: 71458537 MANUAL 1/01/2010

WATER 68691875 12-325493 525 AMELON RD 1.000 R-P 5/8 1/01/2009 1/26/2009  ON
Serial: 68691875 MANUAL 1/01/2009

WATER 68691876 12-325494 515 AMELON RD 1.000 R-P 5/8 1/01/2009 1/26/2009  ON

Serial: 68691876 MANUAL 1/01/2009





2/11/2026 12:41 PM METER REPORT PAGE : 127
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 12 - BOOK 12
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 68691877 12-325495 509 AMELON RD 1.000 R-P 5/8 1/01/2009 1/26/2009  ON
Serial: 68691877 MANUAL 1/01/2009
WATER 68691884 12-325496 505 AMELON RD 1.000 R-P 5/8 1/01/2009 1/26/2009  ON
Serial: 68691884 MANUAL 1/01/2009
WATER 68691885 12-325497 497 AMELON RD 1.000 R-P 5/8 1/01/2009 1/26/2009  ON
Serial: 68691885 MANUAL 1/01/2009
WATER 68691886 12-325498 489 AMELON RD 1.000 R-P 5/8 1/01/2009 1/26/2009  ON
Serial: 68691886 MANUAL 1/01/2009
WATER 68691887 12-325499 481 AMELON RD 1.000 R-P 5/8 1/01/2009 1/26/2009  ON
Serial: 68691887 MANUAL 1/01/2009
WATER 88239739 12-325500 469 AMELON RD 1.000 S 5/8" 8/20/2020  ON
Serial: 88239739 MANUAL

WATER 86011702 12-325600 467 AMELON RD 1.000 s 5/8" 8/23/2019  ON
Serial: 86011702 MANUAL

WATER 100933494 12-325700 457 AMELON RD 1.000 S-IPRL  5/8" 10/23/2025  ON
Serial: 100933494 MANUAL

WATER 80002691 12-325705 449 AMELON RD 1.000 S 5/8" 9/28/2016  OFF
Serial: 80002691 1.000 MANUAL

WATER 80002692 12-325730 429 AMELON RD 1.000 S 5/8" 9/28/2016  OFF
Serial: 80002692 1.000 MANUAL

WATER 88239737 12-325800 427 AMELON RD 1.000 S 5/8" 8/20/2020  ON
Serial: 88239737 MANUAL

WATER 86011700 12-325900 415 AMELON RD 1.000 S 5/8" 8/23/2019  OFF
Serial: 86011700 1.000 MANUAL

WATER 83703285 12-325905 383 AMELON RD 1.000 s 1 9/13/2023  ON
Serial: 83703285 MANUAL

WATER 80003054 12-325910 367 AMELON RD B 1.000 s 5/8" 9/28/2016  ON
Serial: 80003054 MANUAL

WATER 80003052 12-325911 365 AMELON RD 1.000 S 5/8" 9/28/2016  ON
Serial: 80003052 MANUAL

WATER 88239738 12-326000 349 AMELON RD 1.000 S 5/8" 8/20/2020  ON
Serial: 88239738 MANUAL

WATER 68691888 12-326100 341 AMELON RD 1.000 R-P 5/8 1/01/2009 1/26/2009  ON
Serial: 68691888 MANUAL 1/01/2009

WATER 67640773 12-326101 331 AMELON RD 1.000 S-P 5/8 1/01/2007 3/23/2007  ON
Serial: 67640773 MANUAL 1/01/2007

WATER 67640778 12-326200 307 AMELON RD 1.000 s-P 5/8 1/01/2007 3/23/2007  ON
Serial: 67640778 MANUAL 1/01/2007

WATER 67640775 12-326300 289 AMELON RD 1.000 S-P 5/8 1/01/2007 3/23/2007  ON
Serial: 67640775 MANUAL 1/01/2007

WATER 63056578 12-326351 570 WOODLAND DR 1.000 S-P 5/8 1/01/2006 6/13/2006  ON
Serial: 63056578 MANUAL

WATER 63056519 12-326352 576 WOODLAND DR 1.000 S-P 5/8" 1/01/2006 4/04/2006  ON
Serial: 63056519 MANUAL

WATER 63056514 12-326353 590 WOODLAND DR 1.000 S-P 5/8 1/01/2006 3/15/2006  ON
Serial: 63056514 MANUAL

WATER 63056502 12-326354 600 WOODLAND DR 1.000 S-P 5/8 1/01/2006 1/26/2006  ON
Serial: 63056502 MANUAL
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DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT

DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes

DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 12 - BOOK 12
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 86011737 12-326355 608 WOODLAND DR 1.000 S 5/8" 8/19/2020  ON
Serial: 86011737 MANUAL

WATER 63056521 12-326356 618 WOODLAND DR 1.000 S-P 5/8 1/01/2006 5/24/2006  ON
Serial: 63056521 MANUAL

WATER 63056504 12-326357 628 WOODLAND DR 1.000 S-P 5/8 1/01/2006 2/13/2006  ON
Serial: 63056504 MANUAL

WATER 63056520 12-326358 632 WOODLAND DR 1.000 S-P 5/8 1/01/2006 4/05/2006  ON
Serial: 63056520 MANUAL

WATER 88239825 12-326359 642 WOODLAND DR 1.000 S 5/8" 8/19/2020  ON
Serial: 882369825 MANUAL

WATER 88239826 12-326360 643 WOODLAND DR 1.000 S 5/8" 8/19/2020  ON
Serial: 88239826 MANUAL

WATER 66214237 12-326361 631 WOODLAND DR 1.000 s-P 1 1/01/2004 7/23/2007  ON
Serial: 66214237 MANUAL

WATER 67641388 12-326362 627 WOODLAND DR 1.000 S-P 5/8 1/01/2007 6/21/2007  ON
Serial: 67641388 MANUAL

WATER 66510722 12-326363 617 WOODLAND DR 1.000 S-P 5/8 1/01/2006 10/31/2006  ON
Serial: 66510722 MANUAL

WATER 63056536 12-326364 607 WOODLAND DR 1.000 S-P 5/8 1/01/2006 5/23/2006  ON
Serial: 63056536 MANUAL

WATER 66510726 12-326365 599 WOODLAND DR 1.000 S-P 5/8 1/01/2006 10/24/2006  ON
Serial: 66510726 MANUAL

WATER 96689057 12-326366 591 WOODLAND DR 1.000 S-IPRL  5/8" 7/14/2025  ON
Serial: 96689057 MANUAL

WATER 86011736 12-326367 583 WOODLAND DR 1.000 S 5/8" 8/19/2020  ON
Serial: 86011736 MANUAL

WATER 63056531 12-326368 579 WOODLAND DR 1.000 S-P 5/8 1/01/2006 5/23/2006  ON
Serial: 63056531 MANUAL

WATER 63056497 12-326369 551 WOODLAND DR 1.000 S-P 5/8 1/01/2006 4/05/2006  ON
Serial: 63056497 MANUAL

WATER 63056505 12-326370 116 SHAWNEE CT 1.000 S-P 5/8 1/01/2006 1/30/2006  ON
Serial: 63056505 MANUAL

WATER 66510682 12-326371 134 SHAWNEE CT 1.000 S-P 5/8 1/01/2006 8/28/2006  ON
Serial: 66510682 MANUAL 1/01/2006

WATER 67641078 12-326372 136 SHAWNEE CT 1.000 S-P 5/8 1/01/2007 11/29/2007  ON
Serial: 67641078 MANUAL

WATER 66510743 12-326373 144 SHAWNEE CT 1.000 S-P 5/8 1/01/2007 12/13/2006  ON
Serial: 66510743 MANUAL

WATER 66510680 12-326374  LOT 6 SHAWNEE CT 1.000 S-P 5/8 1/01/2006 9/06/2006  OFF
Serial: 66510680 MANUAL

WATER 72853939 12-326375 147 SHAWNEE CT 1.000 S 5/8" 9/14/2011  ON
Serial: 72853939 MANUAL

WATER 68691811 12-326376 145 SHAWNEE CT 1.000 S-P 5/8 1/01/2008 9/18/2008  ON
Serial: 68691811 MANUAL

WATER 63056508 12-326377 143 SHAWNEE CT 1.000 S-P 5/8 1/01/2006 7/26/2006  ON
Serial: 63056508 MANUAL

WATER 68692014 12-326378 135 SHAWNEE CT 1.000 S-P 5/8 1/01/2008 3/06/2008  ON
Serial: 68692014 MANUAL
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DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 12 - BOOK 12

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 67641340 12-326379 119 SHAWNEE CT 1.000 S-P 5/8 1/01/2007 9/05/2007  ON
Serial: 67641340 MANUAL 1/01/2007

WATER 67641293 12-326500 124 AMANDA PL 1.000 S-P 5/8 1/01/2007 10/29/2007  ON
Serial: 67641293 MANUAL

WATER 70171168 12-326501 132 AMANDA PL 1.000 S-P 5/8 1/01/2010 2/18/2010  ON
Serial: 70171168 MANUAL

WATER 71032111 12-326502 134 AMANDA PL 1.000 S-P 5/8 1/01/2010 1/06/2010 ON
Serial: 71032111 MANUAL

WATER 67641348 12-326503 144 AMANDA PL 1.000 S-P 5/8 1/01/2007 8/23/2007  ON
Serial: 67641348 MANUAL

WATER 68691881 12-326504 160 AMANDA PL 1.000 S-P 5/8 1/01/2009 4/15/2009  ON
Serial: 68691881 MANUAL

WATER 67641292 12-326505 164 AMANDA PL 1.000 S-P 5/8 1/01/2007 11/13/2007  ON
Serial: 67641292 MANUAL 1/01/2007

WATER 73681828 12-326506 174 AMANDA PL 1.000 S 5/8" 9/10/2012 9/10/2012  ON
Serial: 73681828 MANUAL

WATER 67641308 12-326511 155 AMANDA PL 1.000 S-P 5/8 1/01/2007 9/26/2007  ON
Serial: 67641308 MANUAL

WATER 67412640 12-326512 145 AMANDA PL 1.000 S-P 5/8 1/01/2007 3/14/2007  ON
Serial: 67412640 MANUAL

WATER 67641304 12-326513 143 AMANDA PL 1.000 S-P 5/8 1/01/2007 9/12/2007  ON
Serial: 67641304 MANUAL

WATER 67641301 12-326514 135 AMANDA PL 1.000 S-P 5/8 1/01/2007 9/12/2007  ON

Serial: 67641301 MANUAL 1/01/2007
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DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999

AGE OF METERS BASED ON PURCHASE DATE
1 TO 3 4 TO 6 7 TO 10 11 TO 15 16 TO 20 OVER 20 UNKNOWN
MAKE YEARS OLD YEARS OLD YEARS OLD YEARS OLD YEARS OLD YEARS OLD YEARS OLD

METER GROUP: WATER

- 0 0 0 0 0 0 1
0-P 0 0 0 0 1 0 0
100-P 0 0 0 0 1 0 0
B-P 0 0 0 0 1 0 0
E-P 0 0 0 0 0 1 0
R-P 0 0 0 0 250 111 1
S 0 5 54 85 3 0 1757
S-IPRL 0 0 0 0 0 0 41
S-P 0 0 0 0 571 60 0
GROUP TOTAL 0 5 54 85 827 172 1800
*TOTALS* 0 5 54 85 827 172 1800
AGE OF METERS BASED ON PURCHASE DATE
1 TO 3 4 TO 6 7 TO 10 11 TO 15 16 TO 20 OVER 20 UNKNOWN
SIZE YEARS OLD YEARS OLD YEARS OLD YEARS OLD YEARS OLD YEARS OLD YEARS OLD
METER GROUP: WATER
0 0 0 0 42 13 0
1 0 0 0 0 1 1 1
5/8 0 0 0 0 779 154 2
5/8" 0 5 54 85 5 4 1797
GROUP TOTAL 0 5 54 85 827 172 1800

*TOTALS* 0 5 54 85 827 172 1800
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DT PURCHSED:
DT INSTALL:
DT REPAIR:
DT TESTED:

0/00/0000
1/01/1900
0/00/0000
0/00/0000

TO 99/99/9999
TO 2/11/2026
TO 99/99/9999
TO 99/99/9999

METER REPORT

PAGE : 131
SEQ :ACCOUNT
SIZE :All Sizes
MAKE :All Makes

DATE

16 TO 20 OVER 20 UNKNOWN
YEARS OLD YEARS OLD YEARS OLD
0 1 0

1 0 0

1 0 0

1 0 0

0 1 0

248 111 0

20 0 0

0 0 0

558 70 0

829 183 0

829 183 0

DATE

16 TO 20 OVER 20 UNKNOWN
YEARS OLD YEARS OLD YEARS OLD
39 12 0

2 0 0

766 167 0

22 4 0

829 183 0

829 183 0

AGE OF METERS BASED ON INSTALL
1 TO 3 4 TO 6 7 TO 10 11 TO 15
MAKE YEARS OLD YEARS OLD YEARS OLD YEARS OLD
METER GROUP: WATER
- 0 0 0 0
0-P 0 0 0 0
100-P 0 0 0 0
B-P 0 0 0 0
E-P 0 0 0 0
R-P 0 0 1 2
S 68 344 1053 419
S-IPRL 41 0 0 0
S-P 1 0 0 2
GROUP TOTAL 110 344 1054 423
*TOTALS* 110 344 1054 423
AGE OF METERS BASED ON INSTALL
1 TO 3 4 TO 6 7 TO 10 11 TO 15
SIZE YEARS OLD YEARS OLD YEARS OLD YEARS OLD
METER GROUP: WATER
1 0 1 2
1 1 0 0 0
5/8 0 0 0 2
5/8" 108 344 1053 419
GROUP TOTAL 110 344 1054 423
*TOTALS* 110 344 1054 423
ASSIGNED & UNASSIGNED TOTALS
ASSIGNED METERS
METER GROUP STAT ON STAT OFF UNASSIGNED METERS TOTAL
WATER 2815 128 0 2943
TOTAL 2815 128 0 2943
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METER REPORT

SELECTION CRITERIA

PAGE

METER SELECTION

ZONE :

BOOK:

COMMENT CODES:
GROUP:

TYPE:

MAKE :

SIZE:
ASSIGNMENT :

01 - CYCLE 1
* - All Books
All

* - All

* - All

* - All Makes
* - All Sizes
BOTH

DATE SELECTION

PURCHASED: 00/00/0000 THROUGH 99/99/9999
INSTALLED: 01/01/1900 THROUGH 02/11/2026
REPAIRED: 00/00/0000 THROUGH 99/99/9999
TESTED: 00/00/0000 THROUGH 99/99/9999

PRINT OPTIONS

TOTALS ONLY:
EXCEPTIONS:

NO
NONE

CUSTOMER CLASS TOTALS: NO

PRINT NOTE/SERIAL:
SEQUENCE :
COMMENT CODE:

Serial

Account Number

*** END OF REPORT ***
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2/11/2026 12:43 PM REPORT PAGE :
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 13 - BOOK 13
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 93938410 13-330030 232 ELON RD 1.000 S-IPRL 5/8" 10/03/2024  ON
Serial: 93938410 133301122 MANUAL
WATER 72854015 13-330033 264 ELON RD 1.000 S-IPRL  5/8" 9/01/2024 9/01/2024  ON
Serial: 72854015 133301140 MANUAL
WATER 49639720 13-330034  ELON RD 1.000 R-P 5/8 1/01/1997 0/00/2000  OFF
Serial: 49639720 MANUAL 1/01/1997
WATER 93938371 13-330037 114 PATTERSON DR 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938371 133277570 MANUAL
WATER 93938367 13-330040 129 PATTERSON DR 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938367 133301334 B
WATER 93938464 13-330045 312 ELON RD 1.000 S-IPRL  5/8" 10/30/2024  ON
Serial: 93938464 133301332 B
WATER 93938392 13-330047 328 ELON RD 1.000 S-IPRL 5/8" 9/30/2024  ON
Serial: 93938392 133294026 B
WATER 93938382 13-330048 332 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938382 133295296 B
WATER 93938451 13-330050 350 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938451 133296504 B
WATER 93938450 13-330052 362 ELON RD 1.000 S-IPRL 5/8" 9/30/2024 ON
Serial: 93938450 133296376 B
WATER 93938449 13-330060 114 BIBEES LN 1.000 S-IPRL  5/8" 9/30/2024  OFF
Serial: 93938449 133296326 1.000 MANUAL
WATER 93938452 13-330062 122 BIBEES LN 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 939389452 133296144 B
WATER 93938453 13-330075 494 ELON RD 1.000 S-IPRL 5/8" 10/10/2024  ON
Serial: 93938453 133295342 B
WATER 93938383 13-330078 498 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  OFF
Serial: 93938383 133296174 1.000 B
WATER 93938363 13-330080 500 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938363 133296524 B
WATER 93938298 13-330085 534 ELON RD 1.000 S-IPRL 5/8" 9/30/2024 ON
Serial: 93938298 133295308 B
WATER 93938362 13-330087 542 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938362 133296568 B
WATER 82386268 13-330090 110 MT SINAT RD 1.000 s 5/8" 4/03/2017  ON
Serial: 82386268 MANUAL
WATER 75618723 13-330092 124 MT SINAI RD 1.000 S 5/8" 3/31/2015 ON
Serial: 75618723 MANUAL
WATER 70171422 13-330093 132 MT SINAI RD 1.000 S-P 5/8 1/01/2009 2/06/2009  ON
Serial: 70171422 MANUAL 1/01/2009
WATER 64643109 13-330095 140 MT SINAI RD 1.000 S-P 5/8 1/01/2006 3/24/2005  ON
Serial: 64643109 MANUAL 1/01/2006
WATER 71031974 13-330098 160 MT SINAI RD 1.000 R-P 5/8 1/01/2010 3/09/2010 ON
Serial: 71031974 MANUAL 1/01/2010
WATER 86011797 13-330100 162 MT SINAI RD 1.000 s 5/8" 2/10/2020  ON
Serial: 86011797 MANUAL
WATER 86011796 13-330105 166 MT SINAT RD 1.000 s 5/8" 2/10/2020  ON
Serial: 86011796 MANUAL
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DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 13 - BOOK 13
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 86011816 13-330110 176 MT SINAI RD 1.000 S 5/8" 5/28/2019  ON
Serial: 86011816 MANUAL
WATER 82386343 13-330112 198 MT SINAI RD 1.000 S 5/8" 4/03/2017  ON
Serial: 82386343 MANUAL
WATER 93938358 13-330115 153 MT SINAI RD 101 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938358 133296522 B
WATER 93938355 13-330116 153 MT SINAI RD 102 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938355 133301088 MANUAL
WATER 93938364 13-330117 155 MT SINAI RD 100 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938364 133296398 B
WATER 93938356 13-330118 155 MT SINAT RD 102 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938356 133301236 B
WATER 93938295 13-330125 222 MT SINAI RD 1.000 S-IPRL 5/8" 9/30/2024  ON
Serial: 93938295 133299658 B
WATER 82386399 13-330128 106 STOWE LN 1.000 S 5/8" 4/04/2017  ON
Serial: 82386399 MANUAL
WATER 73987923 13-330130 690 OAK GROVE DR 1.000 S 5/8" 5/27/2014  ON
Serial: 73987923 MANUAL
WATER 93938360 13-330132 109 STOWE LN 1.000 S-IPRL 5/8" 9/30/2024 ON
Serial: 93938360 133296432 B
WATER 93938354 13-330135 742 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938354 133301360 B
WATER 93938351 13-330140 744 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938351 133747838 B
WATER 93938423 13-330150 764 ELON RD 1.000 S-IPRL 5/8" 9/30/2024  ON
Serial: 93938423 133296518 B
WATER 93938302 13-330160 772 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938302 133298240 MANUAL
WATER 93938297 13-330200 124 MOUNTAINEER DR 1.000 S-IPRL  5/8" 10/10/2024  ON
Serial: 93938297 133295292 B
WATER 93938446 13-330300 118 MOUNTAINEER DR 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938446 133302474 B
WATER 68692088 13-330406 142 AUTUMN VIEW LN 1.000 S-P 5/8 1/01/2009 3/18/2009  ON
Serial: 68692088 MANUAL
WATER 68691879 13-330407 144 AUTUMN VIEW LN 1.000 S-P 5/8 1/01/2009 3/18/2009  ON
Serial: 68691879 MANUAL
WATER 68691764 13-330408 146 AUTUMN VIEW LN 1.000 S-P 5/8" 1/01/2009 3/18/2009  ON
Serial: 68691764 MANUAL 1/01/2009
WATER 68691767 13-330409 148 AUTUMN VIEW LN 1.000 S-P 5/8 1/01/2009 3/08/2009  ON
Serial: 68691767 MANUAL 1/01/2009
WATER 84007955 13-330420 168 AUTUMN VIEW LN 1.000 S 5/8" 2/16/2018  ON
Serial: 84007955 MANUAL
WATER 84007957 13-330421 166 AUTUMN VIEW LN 1.000 s 5/8" 2/16/2018  ON
Serial: 84007957 MANUAL
WATER 60181449 13-330422 172 AUTUMN VIEW LN 1.000 S-P 5/8 1/01/2005 0/00/2000  ON
Serial: 60181449 MANUAL 1/01/2005
WATER 84007953 13-330423 170 AUTUMN VIEW LN 1.000 s 5/8" 2/16/2018  ON
Serial: 84007953 MANUAL
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DT PURCHSED:
DT INSTALL:
DT REPAIR:
DT TESTED:
BOOK:

0/00/0000 TO 99/99/9999
1/01/1900 TO 2/11/2026
0/00/0000 TO 99/99/9999
0/00/0000 TO 99/99/9999
13 - BOOK 13

- METER GROUP - METER NO# ACCOUNT NO#

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

82386397 13-330451

82386397

66510739 13-330459
66510739

66510741 13-330460
66510741

93938359 13-330605
93938359

93938303 13-330700
93938303

93938299 13-330800
93938299

64642970 13-330900
64642970

93938357 13-331000
93938357

93938366 13-331100
93938366

93938372 13-331200
93938372

93938374 13-331300
93938374

93938375 13-331400
93938375

93938379 13-331500
93938379

93938376 13-331501
93938376

68692006 13-331605
68692006

86011770 13-331608
86011770

0331610 13-331610
0331610

100933435 13-331611
100933435

54578708 13-331612
54578708

82386269 13-331665
82386269

70171177 13-331670
70171177

82386401 13-331675
82386401

73681768 13-331722
73681768

80002729 13-331723
80002729

METER

————— SERVICE ADDRESS
---DMD MXU--- -DSCALE-

--MXU ID--

115 AUTUMN VIEW LN

113 AUTUMN VIEW LN

874 ELON RD
133302348

894 ELON RD
133295320

906 ELON RD
133301280

151 DONIGAN DR

966 ELON RD
133296622

994 ELON RD
133296382

171 LOVING LN
133747834
1048 ELON RD
133746556

129 LOVING LN
133297534
1070 ELON RD
133302472
1096 ELON RD
133686144

341 WINRIDGE DR

315 WINRIDGE DR

WINESAP RD

293 WINRIDGE DR

289 WINRIDGE DR

252 WINRIDGE DR

147 FOX BRIAR LN

316 WINRIDGE DR

110 ASHMONT DR

140 ASHMONT DR

REPORT PAGE :
SEQ :ACCOUNT
SIZE :All Sizes
MAKE :All Makes
-SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
--TYPE-- --PRICE-- --REPAIR DATE-- —--TESTED DATE-- STAT
1.000 S 5/8" 4/04/2017  ON
MANUAL
1.000 S-P 5/8 1/01/2007 1/03/2007  ON
MANUAL 1/01/2007
1.000 S-P 5/8 1/01/2000 0/00/2000  ON
MANUAL 1/01/2000
1.000 S-IPRL  5/8" 9/30/2024  ON
B
1.000 S-IPRL 5/8" 9/30/2024  ON
MANUAL
1.000 S-IPRL 5/8" 9/30/2024  ON
MANUAL
1.000 R-P 5/8 1/01/2005 3/24/2005  OFF
MANUAL 1/01/2005
1.000 S-IPRL 5/8" 9/30/2024  ON
B
1.000 S-IPRL  5/8" 9/30/2024  ON
MANUAL
1.000 S-IPRL 5/8" 10/07/2024  ON
B
1.000 S-IPRL 5/8" 9/30/2024  ON
B
1.000 S-IPRL 5/8" 10/07/2024  ON
B
1.000 S-IPRL 5/8" 10/10/2024  ON
B
1.000 S-IPRL  5/8" 9/30/2024  ON
B
1.000 S-P 5/8 1/01/2008 3/27/2008  ON
MANUAL 1/01/2008
1.000 S 5/8" 2/11/2020 ON
MANUAL
1.000 - 5/8 0/00/2000 OFF
MANUAL
1.000 S-IPRL 5/8" 1/02/2026  ON
MANUAL
1.000 H-P 5/8 1/01/1999 2/18/2000  ON
MANUAL 1/01/1999
1.000 S 5/8" 4/04/2017  ON
MANUAL
1.000 S-P 5/8 1/01/2009 9/30/2009  ON
MANUAL 1/01/2009
1.000 s 5/8" 4/04/2017  ON
MANUAL
1.000 S 5/8" 7/24/2012 ON
MANUAL
1.000 S 5/8" 6/16/2016 10/06/2016 ON
MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 4

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 13 - BOOK 13

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 80002727 13-331724 148 ASHMONT DR 1.000 S 5/8" 10/06/2016 10/06/2016  ON
Serial: 80002727 MANUAL

WATER 80002726 13-331725 164 ASHMONT DR 1.000 S 5/8" 10/06/2016 10/06/2016  ON
Serial: 80002726 MANUAL

WATER 86011771 13-331726 166 ASHMONT DR 1.000 S 5/8" 2/11/2020  ON
Serial: 86011771 MANUAL

WATER 80002728 13-331730 167 ASHMONT DR 1.000 S 5/8" 10/06/2016 10/06/2016  ON
Serial: 80002728 MANUAL

WATER 71458578 13-331750 165 ASHMONT DR 1.000 S 5/8" 3/17/2011 3/17/2011  ON
Serial: 71458578 MANUAL

WATER 68691804 13-331751 157 ASHMONT DR 1.000 S-P 5/8 1/01/2009 2/06/2009  ON
Serial: 68691804 MANUAL 1/01/2009

WATER 73681752 13-331752 155 ASHMONT DR 1.000 S 5/8" 7/24/2012  ON
Serial: 73681752 MANUAL

WATER 71458581 13-331755 133 ASHMONT DR 1.000 S 5/8" 3/17/2011 3/17/2011  ON
Serial: 71458581 MANUAL

WATER 80003482 13-331756 119 ASHMONT DR 1.000 S 5/8" 10/06/2016 10/06/2016  ON
Serial: 80003482 MANUAL

WATER 71458576 13-331758 113 ASHMONT DR 1.000 S 5/8" 3/17/2011 3/17/2011  ON
Serial: 71458576 MANUAL

WATER 93938448 13-331800 1168 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938448 133301238 B

WATER 93938296 13-331900 1192 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938296 133746578 B

WATER 93938381 13-331910 1314 ELON RD 1.000 S-IPRL 5/8" 9/30/2024  ON
Serial: 93938381 133295394 B

WATER 54578640 13-331920 1426 ELON RD 1.000 R-P 5/8 1/01/2001 8/27/2001  OFF
Serial: 54578640 MANUAL 1/01/2001

WATER 93938377 13-332000 1456 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938377 133301226 B

WATER 93938378 13-332005 1466 ELON RD 1.000 S-IPRL 5/8" 9/30/2024 ON
Serial: 93938378 133747136 B

WATER 52407233 13-332100 1490 ELON RD 1.000 R-P 5/8 1/01/1998 11/12/1998  OFF
Serial: 52407233 MANUAL 1/01/1998

WATER 93938300 13-332200 1528 ELON RD 1.000 S-IPRL 5/8" 9/30/2024 ON
Serial: 93938300 133302562 B

WATER 93938312 13-332300 1574 ELON RD 1.000 S-IPRL 5/8" 9/30/2024  ON
Serial: 93938312 133302202 B

WATER 93938304 13-332305 1582 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938304 133301118 B

WATER 93938307 13-332310 1604 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938307 133295264 B

WATER 93938445 13-332500 1624 ELON RD 1.000 S-IPRL  5/8" 1/13/2025 1/13/2025 ON
Serial: 939384445 133295322 MANUAL

WATER 86011673 13-332502 100 HORSESHOE BEND 1.000 s 5/8" 2/11/2020  ON
Serial: 86011673 MANUAL

WATER 86011672 13-332600 132 HORSESHOE BEND 1.000 s 5/8" 2/11/2020  ON

Serial: 86011672 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 5

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 13 - BOOK 13

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 71031971 13-332704 208 HORSESHOE BEND 1.000 R-P 1/01/2010 3/09/2010  ON
Serial: 71031971 MANUAL 1/01/2010

WATER 90301652 13-332705 218 HORSESHOE BEND 1.000 s 5/8" 10/27/2022  ON
Serial: 90301652 MANUAL

WATER 93938425 13-332710 1754 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938425 133296132 B

WATER 93938430 13-332800 1760 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938430 133295390 B

WATER 93938329 13-332801 1774 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938329 133296478 B

WATER 93938380 13-332850 1814 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938380 133296656 B

WATER 93938313 13-332900 1818 ELON RD 1.000 S-IPRL 5/8" 9/30/2024  ON
Serial: 93938313 133296448 B

WATER 94814838 13-332998 1918 ELON RD 1.000 S-IPRL  5/8" 7/30/2025  ON
Serial: 94814838 MANUAL

WATER 96689004 13-332999 112 GRAHAM CREEK RD 1.000 S-IPRL  5/8" 7/24/2025  ON
Serial: 96689004 MANUAL

WATER 73681750 13-333000 126 GRAHAM CREEK RD 1.000 s 5/8" 7/23/2012  ON
Serial: 73681750 MANUAL

WATER 68692090 13-333015 144 GRAHAM CREEK RD 1.000 S-P 5/8 1/01/2009 2/24/2009  ON
Serial: 68692090 MANUAL

WATER 68691807 13-333017 166 GRAHAM CREEK RD 1.000 S-P 5/8 1/01/2008 9/16/2008  ON
Serial: 68691807 MANUAL

WATER 82386369 13-333020 182 GRAHAM CREEK RD 1.000 S 5/8" 4/17/2017  ON
Serial: 82386369 MANUAL

WATER 80003483 13-333035 207 GRAHAM CREEK RD 1.000 s 5/8" 10/06/2016 10/06/2016  ON
Serial: 80003483 MANUAL

WATER 80003484 13-333040 153 GRAHAM CREEK RD 1.000 S 5/8" 10/06/2016 10/06/2016  ON
Serial: 80003484 MANUAL

WATER 86011674 13-333050 141 GRAHAM CREEK RD 1.000 s 5/8" 2/12/2020  ON
Serial: 86011674 MANUAL

WATER 71031975 13-333100 131 GRAHAM CREEK RD 1.000 R-P 5/8 1/01/2010 3/09/2010 ON
Serial: 71031975 MANUAL 1/01/2010

WATER 96688943 13-333305 1960 ELON RD 1.000 S-IPRL 5/8" 2/18/2025 ON
Serial: 96688943 133296476 MANUAL

WATER 93938305 13-333380 2002 ELON RD 1.000 S-IPRL 5/8" 9/30/2024  ON
Serial: 93938305 133296352 B

WATER 93938308 13-333400 2078 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938308 133295336 B

WATER 93938309 13-333480 2136 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938309 133299696 B

WATER 93938310 13-333485 2144 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938310 133302460 B

WATER 73988019 13-333490 2158 ELON RD 1.000 s 5/8" 4/28/2015  OFF
Serial: 73988019 1.000 MANUAL

WATER 71458620 13-333495 2160 ELON RD 1.000 s 5/8" 4/06/2011  OFF
Serial: 71458620 1.000 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 6
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 13 - BOOK 13
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 70171580 13-333500 104 NOTTAWAY DR 1.000 S-P 5/8 1/01/2009 2/06/2009  ON
Serial: 70171580 MANUAL 1/01/2009
WATER 67640714 13-333501 112 NOTTAWAY DR 1.000 R-P 5/8 3/01/2007 3/22/2007  ON
Serial: 67640714 MANUAL 3/01/2007
WATER 70171576 13-333502 124 NOTTAWAY DR 1.000 S-P 1/01/2009 2/06/2009  ON
Serial: 70171576 MANUAL 1/01/2009
WATER 67640716 13-333503 140 NOTTAWAY DR 1.000 R-P 5/8 3/01/2007 3/22/2007  ON
Serial: 67640716 MANUAL 3/01/2007
WATER 73988012 13-333504 144 NOTTAWAY DR 1.000 S 5/8" 2/03/2014 2/03/2014  ON
Serial: 73988012 MANUAL

WATER 67640715 13-333505 120 SAPONI DR 1.000 R-P 5/8 3/01/2007 3/22/2007  ON
Serial: 67640715 MANUAL 3/01/2007

WATER 72854020 13-333506 124 SAPONI DR 1.000 S-IPRL 5/8" 7/29/2025  ON
Serial: 72854020 MANUAL

WATER 8003015  13-333507 121 SAPONI DR 1.000 S 5/8" 12/01/2016  ON
Serial: 80003015 MANUAL

WATER 84008010 13-333508 162 NOTTAWAY DR 1.000 S 5/8" 12/20/2017  ON
Serial: 84008010 MANUAL

WATER 80003016 13-333509 170 NOTTAWAY DR 1.000 s 5/8" 12/01/2016  ON
Serial: 80003016 MANUAL

WATER 80003017 13-333510 178 NOTTAWAY DR 1.000 s 5/8" 12/01/2016  ON
Serial: 80003017 MANUAL

WATER 80003314 13-333511 186 NOTTAWAY DR 1.000 S 5/8" 11/17/2016 11/17/2016  ON
Serial: 80003314 MANUAL

WATER 67640743 13-333512 110 MATTIPONI DR 1.000 R-P 5/8 3/01/2007 3/22/2007  ON
Serial: 67640743 MANUAL 3/01/2007

WATER 86011842 13-333513 120 MATTIPONI DR 1.000 s 5/8" 2/12/2020  ON
Serial: 86011842 MANUAL

WATER 68691801 13-333515 119 MATTIPONI DR 1.000 S-P 5/8 1/01/2009 2/06/2009  ON
Serial: 68691801 MANUAL 1/01/2009

WATER 80003000 13-333520 115 MATTIPONI DR 1.000 S 5/8" 10/12/2016 10/12/2016  ON
Serial: 80003000 MANUAL

WATER 80003001 13-333521 105 MATTIPONI DR 1.000 S 5/8" 10/12/2016 10/12/2016  ON
Serial: 80003001 MANUAL

WATER 80002998 13-333522 212 NOTTAWAY DR 1.000 S 5/8" 10/12/2016 10/12/2016  ON
Serial: 80002998 MANUAL

WATER 80002996 13-333523 222 NOTTAWAY DR 1.000 S 5/8" 10/12/2016 10/12/2016  ON
Serial: 80002996 MANUAL

WATER 80002999 13-333530 223 NOTTAWAY DR 1.000 S 5/8" 10/12/2016 10/12/2016  ON
Serial: 80002999 MANUAL

WATER 82386370 13-333532 219 NOTTAWAY DR 1.000 S 5/8" 4/17/2017  ON
Serial: 82386370 MANUAL

WATER 80003450 13-333533 209 NOTTAWAY DR 1.000 S 5/8" 10/12/2016 10/12/2016  ON
Serial: 80003450 MANUAL

WATER 80003951 13-333534 201 NOTTAWAY DR 1.000 S 5/8" 10/12/2016 10/12/2016  ON
Serial: 80003951 MANUAL

WATER 80003449 13-333535 118 MONACAN PL 1.000 S 5/8" 10/12/2016 10/12/2016  ON
Serial: 80003449 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 7

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 13 - BOOK 13

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 80003446 13-333537 119 MONACAN PL 1.000 S 5/8" 10/12/2016 10/12/2016  ON
Serial: 80003446 MANUAL

WATER 58613117 13-333538 117 MONACAN PL 1.000 R-P 5/8 1/01/2001 10/18/2001  ON
Serial: 58613117 MANUAL 1/01/2001

WATER 80003043 13-333539 195 NOTTAWAY DR 1.000 S 5/8" 10/12/2016 10/12/2016  ON
Serial: 80003043 MANUAL

WATER 58613121 13-333540 175 NOTTAWAY DR 1.000 R-P 5/8 1/01/2001 10/18/2001  ON
Serial: 58613121 MANUAL 1/01/2001

WATER 88239846 13-333541 173 NOTTAWAY DR 1.000 S 5/8" 6/17/2021  ON
Serial: 88239846 MANUAL

WATER 88239690 13-333542 161 NOTTAWAY DR 1.000 s 5/8" 7/22/2020  ON
Serial: 88239690 MANUAL

WATER 67640745 13-333543 210 MEHERRIN RD 1.000 R-P 5/8 3/01/2007 3/22/2007  ON
Serial: 67640745 MANUAL 3/01/2007

WATER 70171578 13-333544 175 MEHERRIN RD 1.000 S-P 5/8 1/01/2009 2/06/2009  ON
Serial: 70171578 MANUAL 1/01/2009

WATER 68691993 13-333545 137 MEHERRIN RD 1.000 S-P 5/8 1/01/2008 1/16/2008  ON
Serial: 68691993 MANUAL 1/01/2008

WATER 67640748 13-333598 111 MEHERRIN RD 1.000 R-P 5/8 3/01/2007 3/22/2007  ON
Serial: 67640748 MANUAL 3/01/2007

WATER 86011810 13-333599 131 NOTTAWAY DR 1.000 s 5/8" 4/11/2019  ON
Serial: 86011810 MANUAL

WATER 93938319 13-333600 2216 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938319 133296418 B

WATER 93938429 13-333601 2238 ELON RD 1.000 S-IPRL 5/8" 9/30/2024  ON
Serial: 93938429 133296558 B

WATER 93938426 13-333602 2248 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 939384236 133302378 B

WATER 93938444 13-333603 2254 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938444 133296472 B

WATER 93938427 13-333604 2270 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938427 133744478 B

WATER 93938436 13-333605 2280 ELON RD 1.000 S-IPRL 5/8" 9/30/2024 ON
Serial: 93938436 133747536 B

WATER 93938433 13-333606 2284 ELON RD 1.000 S-IPRL  5/8" 10/11/2024  ON
Serial: 93938433 133746582 B

WATER 93938440 13-333607 2296 ELON RD 1.000 S-IPRL 5/8" 9/30/2024  ON
Serial: 93938440 133295328 B

WATER 93938443 13-333610 2314 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938443 133301246 B

WATER 93938456 13-333611 2320 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938456 133295392 B

WATER 93938325 13-333612 2322 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938325 133747500 B

WATER 93938330 13-333613 2330 ELON RD 1.000 S-IPRL 5/8" 9/30/2024 ON
Serial: 93938330 133295360 B

WATER 93938337 13-333615 2338 ELON RD 1.000 S-IPRL 5/8" 9/30/2024 ON

Serial: 93938337 133295274 B
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DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 13 - BOOK 13

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 93938342 13-333616 2358 ELON RD 1.000 S-IPRL 5/8" 9/30/2024  ON
Serial: 93938342 133295288 B

WATER 93938327 13-333625 2436 ELON RD 1.000 S-IPRL  5/8" 1/22/2026  ON
Serial: 93938327 133295312 B

WATER 93938336 13-333628 2470 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938336 133296572 B

WATER 93938323 13-333629 2333 CEDAR GATE RD 1.000 S-IPRL 5/8" 9/30/2024 ON
Serial: 93938323 133296452 B

WATER 86011841 13-333640 2285 CEDAR GATE RD 1.000 s 5/8" 2/12/2020  ON
Serial: 86011841 MANUAL

WATER 80003049 13-333642 2275 CEDAR GATE RD 1.000 S 5/8" 10/13/2016 10/13/2016  ON
Serial: 80003049 MANUAL

WATER 96689058 13-333643 2261 CEDAR GATE RD 1.000 S-IPRL 5/8" 8/28/2025  ON
Serial: 96689058 MANUAL

WATER 86011838 13-333645 2255 CEDAR GATE RD 1.000 s 5/8" 2/12/2020  ON
Serial: 86011838 MANUAL

WATER 86011839 13-333648 2245 CEDAR GATE RD 1.000 S 5/8" 2/12/2020  ON
Serial: 86011839 MANUAL

WATER 71031990 13-333650 2229 CEDAR GATE RD 1.000 R-P 5/8 1/01/2010 3/10/2010  ON
Serial: 71031990 MANUAL 1/01/2010

WATER 71458623 13-333651 122 DEERFIELD DR 1.000 s 5/8" 4/05/2011  ON
Serial: 71458623 MANUAL

WATER 71032116 13-333652 126 DEERFIELD DR 1.000 S-P 5/8 1/01/2010 3/01/2010 ON
Serial: 71032116 MANUAL 1/01/2010

WATER 71031993 13-333653 132 DEERFIELD DR 1.000 R-P 5/8 1/01/2010 3/10/2010  ON
Serial: 71031993 MANUAL 1/01/2010

WATER 67640747 13-333654 154 DEERFIELD DR 1.000 R-P 5/8 3/01/2007 3/22/2007  ON
Serial: 67640747 MANUAL 3/01/2007

WATER 73681769 13-333656 160 DEERFIELD DR 1.000 S 5/8" 7/24/2012  ON
Serial: 73681769 MANUAL

WATER 73987967. 13-333657 166 DEERFIELD DR 1.000 s 5/8" 10/02/2013  ON
Serial: 73987967 MANUAL

WATER 86011655 13-333658 174 DEERFIELD DR 1.000 s 5/8" 2/12/2020  ON
Serial: 86011655 MANUAL

WATER 80003046 13-333660 190 DEERFIELD DR 1.000 s 5/8" 10/17/2016  ON
Serial: 80003046 MANUAL

WATER 70171575 13-333664 141 PARTRIDGE PL 1.000 S-P 5/8 1/01/2009 2/06/2009  ON
Serial: 70171575 MANUAL 1/01/2009

WATER 68691840 13-333685 133 PARTRIDGE PL 1.000 S-P 5/8 1/01/2008 10/22/2008  ON
Serial: 68691840 MANUAL

WATER 80003048 13-333686 121 PARTRIDGE PL 1.000 S 5/8" 10/13/2016 10/13/2016  ON
Serial: 80003048 MANUAL

WATER 80003047 13-333687 111 PARTRIDGE PL 1.000 S 5/8" 10/13/2016 10/13/2016  ON
Serial: 80003047 MANUAL

WATER 73681751 13-333688 124 PARTRIDGE PL 1.000 s 5/8" 7/23/2012  ON
Serial: 73681751 MANUAL

WATER 82386267 13-333689 171 DEERFIELD DR 1.000 s 5/8" 4/17/2017  ON

Serial: 82386267 MANUAL
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DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT

DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes

DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999

BOOK: 13 - BOOK 13
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
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150 HUNT CLUB DR

170 HUNT CLUB DR

192 HUNT CLUB DR

200 HUNT CLUB DR

208 HUNT CLUB DR

212 HUNT CLUB DR

258 HUNT CLUB DR

114 BELMONT TERR

126 BELMONT TERR

123 BELMONT TERR

117 BELMONT TERR

109 BELMONT TERR

101 BELMONT TER

304 HUNT CLUB DR

225 HUNT CLUB DR

R-P
MANUAL
S-P
MANUAL
S
MANUAL

MANUAL
S
MANUAL
R-P
MANUAL
S
MANUAL
S
MANUAL
S-P
MANUAL
S-P
MANUAL
R-P
MANUAL
S
MANUAL
S
MANUAL
S
MANUAL

MANUAL

MANUAL

MANUAL
S
MANUAL
S
MANUAL
S-P
MANUAL
S
MANUAL
S-P
MANUAL

MANUAL
S
MANUAL

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

1/01/2010

1/01/2009

10/12/2016

3/01/2007

1/01/2009

1/01/2009

1/01/2010

10/12/2016

1/01/2000

10/12/2000

3/11/2010

1/01/2010

2/06/2009

1/01/2009

10/12/2016

2/12/2020

2/11/2021

3/22/2007

3/01/2007

7/25/2013

10/02/2013

2/06/2009

1/01/2009

2/06/2009

1/01/2009

3/11/2010

1/01/2010

4/07/2011

4/07/2011

2/26/2014

10/02/2013

10/02/2013

2/16/2018

2/21/2018

10/12/2016

4/27/2001

2/26/2014

1/01/2000

1/01/1996

2/26/2014

1/23/2015

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON





2/11/2026 12:43 PM METER REPORT PAGE : 10

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 13 - BOOK 13

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 88239848 13-333725 175 THRONEBURG LN 1.000 S 5/8" 6/17/2021  ON
Serial: 88239848 MANUAL

WATER 88239845 13-333727 209 HUNT CLUB DR 1.000 s 5/8" 6/17/2021  ON
Serial: 88239845 MANUAL

WATER 71031992 13-333728 191 HUNT CLUB DR 1.000 R-P 5/8 1/01/2010 3/11/2010  ON
Serial: 71031992 MANUAL 1/01/2010

WATER 86011811 13-333730 183 HUNT CLUB DR 1.000 s 5/8" 4/11/2019  ON
Serial: 86011811 MANUAL

WATER 60181353 13-333731 181 HUNT CLUB DR 1.000 S-P 5/8 1/01/2003 4/20/2004  ON
Serial: 60181353 MANUAL 1/01/2003

WATER 84007952 13-333732 179 HUNT CLUB DR 1.000 s 5/8" 2/21/2018  ON
Serial: 84007952 MANUAL

WATER 80003051 13-333733 167 HUNT CLUB DR 1.000 s 5/8" 10/12/2016 10/12/2016  ON
Serial: 80003051 MANUAL

WATER 80003099 13-333734 161 HUNT CLUB DR 1.000 S 5/8" 10/12/2016 10/12/2016  ON
Serial: 80003099 MANUAL

WATER 71032047 13-333735 151 HUNT CLUB DR 1.000 R-P 5/8 1/01/2010 3/11/2010  ON
Serial: 71032047 MANUAL 1/01/2010

WATER 73681753 13-333736 141 HUNT CLUB DR 1.000 s 5/8" 7/23/2012  ON
Serial: 73681753 MANUAL

WATER 96688959 13-333737 2199 CEDAR GATE RD 1.000 S 5/8" 1/09/2025 ON
Serial: 96688959 MANUAL

WATER 80003102 13-333738 2169 CEDAR GATE RD 1.000 S 5/8" 10/12/2016 10/12/2016  ON
Serial: 80003102 MANUAL

WATER 80002987 13-333753 215 HUNT CLUB DR 1.000 S 5/8" 2/20/2018  ON
Serial: 80002987 MANUAL

WATER 70171193 13-333766 2163 CEDAR GATE RD 1.000 s 5/8" 5/09/2012  ON
Serial: 70171193 MANUAL

WATER 80003042 13-334528 179 DEERFIELD DR 1.000 S 5/8" 4/06/2018  ON
Serial: 80003042 MANUAL

WATER 88239834 13-334556 169 THRONEBURG LN 1.000 s 5/8" 2/25/2021  ON
Serial: 88239834 MANUAL

WATER 84008077 13-334557 141 THRONEBURG LN 1.000 s 5/8" 2/21/2018  ON
Serial: 84008077 MANUAL

WATER 82386266 13-334558 135 THRONEBURG LN 1.000 s 5/8" 4/17/2017  ON
Serial: 82386266 MANUAL

WATER 80003098 13-334560 2097 CEDAR GATE RD 1.000 S 5/8" 10/12/2016 10/12/2016  ON
Serial: 80003098 MANUAL

WATER 82386400 13-334565 2056 CEDAR GATE RD 1.000 s 5/8" 4/17/2017  ON
Serial: 82386400 MANUAL

WATER 96689064 13-334568 2138 CEDAR GATE RD 1.000 S 5/8" 10/11/2024  ON
Serial: 96689064 MANUAL

WATER 88239387 13-334570 2017 CEDAR GATE RD 1.000 S 5/8" 6/09/2022  ON
Serial: 88239387 MANUAL

WATER 68691996 13-334669 2078 CEDAR GATE RD 1.000 S-P 5/8 1/01/2008 1/22/2008  ON
Serial: 68691996 MANUAL 1/01/2008

WATER 70171205 13-334670 2094 CEDAR GATE RD 1.000 S-P 5/8 1/01/2009 2/10/2009  ON

Serial: 70171205 MANUAL 1/01/2009





2/11/2026 12:43 PM METER REPORT PAGE : 11
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 13 - BOOK 13
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 54773304 13-334672 2136 CEDAR GATE RD 1.000 R-P 5/8 1/01/1999 0/00/2000  ON
Serial: 54773304 MANUAL 1/01/1999
WATER 54773314 13-334673 2158 CEDAR GATE RD 1.000 S-P 5/8 1/01/1998 2/23/1999  ON
Serial: 54773314 MANUAL

WATER 72853828 13-334675 2172 CEDAR GATE RD 1.000 S 5/8" 4/07/2011  ON
Serial: 72853828 MANUAL

WATER 80003103 13-334676 2174 CEDAR GATE RD 1.000 S 5/8" 10/12/2016 10/12/2016  ON
Serial: 80003103 MANUAL

WATER 70171424 13-334677 2178 CEDAR GATE RD 1.000 S-P 5/8 1/01/2009 2/10/2009  ON
Serial: 70171424 MANUAL 1/01/2009

WATER 90301497 13-334679 2222 CEDAR GATE RD 1.000 s 5/8" 1/08/2024  ON
Serial: 90301497 MANUAL

WATER 86011653 13-334680 2192 CEDAR GATE RD 1.000 S 5/8" 2/12/2020  ON
Serial: 86011653 MANUAL

WATER 90301438 13-334681 2212 CEDAR GATE RD 1.000 s 5/8" 12/13/2023  ON
Serial: 90301438 MANUAL

WATER 70171548 13-334682 2220 CEDAR GATE RD 1.000 S-P 5/8 1/01/2009 2/10/2009  ON
Serial: 70171548 MANUAL 1/01/2009

WATER 71032044 13-334683 2230 CEDAR GATE RD 101 1.000 R-P 5/8 1/01/2010 3/12/2010  ON
Serial: 71032044 MANUAL 1/01/2010

WATER 80003024 13-334684 2230 CEDAR GATE RD 102 1.000 S 5/8" 10/12/2016 10/12/2016  ON
Serial: 80003024 MANUAL

WATER 64642974 13-334685 2274 CEDAR GATE RD 1.000 S-P 5/8 1/01/2006 4/12/2005  ON
Serial: 64642974 MANUAL 1/01/2006

WATER 86011657 13-334687 142 MANSE RD 1.000 S 5/8" 2/12/2020  ON
Serial: 86011657 MANUAL

WATER 86011656 13-334688 2288 CEDAR GATE RD 1.000 s 5/8" 2/12/2020  ON
Serial: 86011656 MANUAL

WATER 86011691 13-334690 2290 CEDAR GATE RD 1.000 S 5/8" 2/12/2020  ON
Serial: 86011691 MANUAL

WATER 84007948 13-334691 144 MANSE RD 1.000 S 5/8" 8/28/2018  ON
Serial: 84007948 MANUAL

WATER 93938335 13-334700 2516 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938335 133296420 B

WATER 93938331 13-334800 2524 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938331 133295262 B

WATER 93938332 13-334805 179 MANSE RD 1.000 S-IPRL 5/8" 9/30/2024  ON
Serial: 93938332 133295280 B

WATER 93938333 13-334900 124 MANSE RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938333 133296680 B

WATER 93938344 13-334910 2770 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938344 133301142 B

WATER 93938343 13-334948 2599 ELON RD 1.000 S-IPRL  5/8" 10/10/2024  ON
Serial: 93938343 133295102 B

WATER 93238871 13-334949 2613 ELON RD 1.000 S-IPRL  5/8" 3/19/2025  ON
Serial: 93238871 133296596 MANUAL

WATER 93938341 13-334950 2563 ELON RD 1.000 S-IPRL  5/8" 10/10/2024  ON
Serial: 93938341 133296492 B





2/11/2026 12:43 PM METER REPORT PAGE : 12

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 13 - BOOK 13

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 93938340 13-335000 2527 ELON RD 1.000 S-IPRL 5/8" 10/10/2024  ON
Serial: 93938340 133296628 B

WATER 93938339 13-335015 2485 ELON RD 1.000 S-IPRL  5/8" 9/30/2024 10/10/2024  ON
Serial: 93938339 133301272 B

WATER 86011832 13-335020 106 MONACAN PARK RD 1.000 S 5/8" 5/16/2019  ON
Serial: 86011832 MANUAL

WATER 82386701 13-335025 140 MONACAN PARK RD 1.000 S 5/8" 5/05/2017  ON
Serial: 82386701 MANUAL

WATER 71458502 13-335030 144 MONACAN PARK RD 1.000 S 5/8" 3/31/2011 ON
Serial: 71458502 MANUAL

WATER 71032046 13-335040 164 MONACAN PARK RD 1.000 R-P 5/8 1/01/2010 3/11/2010 ON
Serial: 71032046 MANUAL 1/01/2010

WATER 75618815 13-335055 220 MONACAN PARK RD 1.000 S 5/8" 11/01/2013  ON
Serial: 75618815 MANUAL

WATER 80003025 13-335075 262 MONACAN PARK RD 1.000 s 5/8" 10/12/2016 10/12/2016  ON
Serial: 80003025 MANUAL

WATER 68691997 13-335080 296 MONACAN PARK RD 1.000 S-P 5/8 1/01/2008 1/22/2008  ON
Serial: 68691997 MANUAL 1/01/2008

WATER 88239987 13-335085 316 MONACAN PARK RD 1.000 s 5/8" 4/21/2020  ON
Serial: 88239987 MANUAL

WATER 80003023 13-335090 340 MONACAN PARK RD 1.000 S 5/8" 10/12/2016 10/12/2016  ON
Serial: 80003023 MANUAL

WATER 82386366 13-335100 440 MONACAN PARK RD 1.000 s 5/8" 4/17/2017  ON
Serial: 82386366 MANUAL

WATER 71458577 13-335150 455 MONACAN PARK RD 1.000 S 5/8" 7/08/2011  ON
Serial: 7148577 MANUAL

WATER 88239847 13-335152 464 MONACAN PARK RD 1.000 s 5/8" 6/17/2021  ON
Serial: 88239847 MANUAL

WATER 80003022 13-335188 536 MONACAN PARK RD 1.000 S 5/8" 10/12/2016 10/12/2016  ON
Serial: 80003022 MANUAL

WATER 82387514 13-335192 568 MONACAN PARK RD 1.000 s 1 3/15/2017  ON
Serial: 82387514 MANUAL

WATER 80003020 13-335198 125 JUSTAMERE LN 1.000 S 5/8" 10/12/2016 10/12/2016  ON
Serial: 80003020 MANUAL

WATER 80003005 13-335200 598 MONACAN PARK RD 1.000 S 5/8" 12/01/2016 ON
Serial: 80003005 MANUAL

WATER 90301482 13-335230 124 SALT CREEK RD 1.000 S 5/8" 5/02/2023  ON
Serial: 90301482 MANUAL

WATER 82386372 13-335233 660 MONACAN PARK RD 1.000 s 5/8" 3/15/2017  ON
Serial: 82386372 MANUAL

WATER 83780130 13-335505 571 MONACAN PARK RD 1.000 S 5/8" 11/05/2019  ON
Serial: 83780130 MANUAL

WATER 73988024 13-335510 563 MONACAN PARK RD 1.000 s 5/8" 2/26/2014  ON
Serial: 73988024 MANUAL

WATER 75618703 13-335550 549 MONACAN PARK RD 1.000 s 5/8" 1/09/2015  ON
Serial: 75618703 MANUAL

WATER 90301716 13-335670 301 MONACAN PARK RD 1.000 s 5/8" 10/05/2022  ON

Serial: 90301716 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 13

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 13 - BOOK 13

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 82386530 13-335700 201 MONACAN PARK RD 1.000 S 5/8" 2/01/2018  ON
Serial: 82386530 MANUAL

WATER 90301672 13-335703 189 MONACAN PARK RD 1.000 S 5/8" 1/11/2023  ON
Serial: 90301672 MANUAL

WATER 90301575 13-335705 183 MONACAN PARK RD 1.000 S-IPRL  5/8" 1/09/2026  ON
Serial: 90301575 MANUAL

WATER 70171206 13-335706 171 MONACAN PARK RD 1.000 S-P 5/8 1/01/2009 2/10/2009  ON
Serial: 70171206 MANUAL 1/01/2009

WATER 70171547 13-335707 159 MONACAN PARK RD 1.000 S-P 5/8 1/01/2009 2/10/2009  ON
Serial: 70171547 MANUAL 1/01/2009

WATER 73987983 13-335708 153 MONACAN PARK RD 1.000 S 5/8" 3/31/2015 ON
Serial: 73987983 MANUAL

WATER 70171204 13-335710 137 MONACAN PARK RD 1.000 s-P 5/8 1/01/2009 2/10/2009  ON
Serial: 70171204 MANUAL 1/01/2009

WATER 88239985 13-335800 133 MONACAN PARK RD 1.000 S 5/8" 4/21/2020  ON
Serial: 88239985 MANUAL

WATER 90301429 13-335900 2453 ELON RD 1.000 S 5/8" 6/26/2024  ON
Serial: 90301429 MANUAL

WATER 93938316 13-336000 2451 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938316 133295352 B

WATER 93938321 13-336100 175 YOUNGER DR 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938321 133302468 B

WATER 93938314 13-336200 184 YOUNGER DR 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938314 133295346 B

WATER 93938322 13-336300 160 YOUNGER DR 1.000 S-IPRL 5/8" 9/30/2024  ON
Serial: 93938322 133295990 B

WATER 88239984 13-336400 108 YOUNGER DR 1.000 S 5/8" 4/21/2020  ON
Serial: 88239984 MANUAL

WATER 61088180 13-336420 145 YOUNGER DR 1.000 S-P 5/8 1/01/2006 2/10/2006  ON
Serial: 61088180 MANUAL 1/01/2006

WATER 100933491 13-336600 120 CAMDEN DR 1.000 S-IPRL  5/8" 10/24/2025  ON
Serial: 100933491 MANUAL

WATER 90301826 13-336700 130 CAMDEN DR 1.000 S 5/8" 3/03/2023 ON
Serial: 90301826 MANUAL

WATER 88239997 13-336701 138 CAMDEN DR 1.000 s 5/8" 4/21/2020  ON
Serial: 88239997 MANUAL

WATER 88239998 13-336800 146 CAMDEN DR 1.000 S 5/8" 4/21/2020  ON
Serial: 88239998 MANUAL

WATER 82386320 13-336900 154 CAMDEN DR 1.000 S 5/8" 5/04/2017  ON
Serial: 82386320 MANUAL

WATER 68691994 13-337000 164 CAMDEN DR 1.000 S-P 5/8 1/01/2008 1/22/2008  ON
Serial: 68691994 MANUAL 1/01/2008

WATER 88239995 13-337300 192 CAMDEN DR 1.000 s 5/8" 4/21/2020  ON
Serial: 88239995 MANUAL

WATER 88239996 13-337400 204 CAMDEN DR 1.000 s 5/8" 4/21/2020  ON
Serial: 88239996 MANUAL

WATER 88239951 13-337403 214 CAMDEN DR 1.000 s 5/8" 4/21/2020  ON

Serial: 88239951 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 14

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 13 - BOOK 13

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 70171398 13-337404 212 CAMDEN DR 1.000 S-P 5/8 1/01/2009 2/12/2009  ON
Serial: 70171398 MANUAL 1/01/2009

WATER 88239952 13-337405 222 CAMDEN DR 1.000 S 5/8" 4/21/2020  ON
Serial: 88239952 MANUAL

WATER 86011651 13-337470 232 CAMDEN DR 1.000 S 5/8" 2/14/2020  ON
Serial: 86011651 MANUAL

WATER 86011646 13-337500 250 CAMDEN DR 1.000 s 5/8" 2/14/2020  ON
Serial: 86011646 MANUAL

WATER 86011647 13-337600 270 CAMDEN DR 1.000 s 5/8" 2/14/2020  ON
Serial: 86011647 MANUAL

WATER 86011648 13-337700 282 CAMDEN DR 1.000 s 5/8" 2/14/2020  ON
Serial: 86011648 MANUAL

WATER 67641306 13-337799 314 CAMDEN DR 1.000 S-P 5/8 1/01/2007 8/30/2007  ON
Serial: 67641306 MANUAL

WATER 70171207 13-337801 292 CAMDEN DR 1.000 S-P 5/8 1/01/2009 2/12/2009  ON
Serial: 70171207 MANUAL 1/01/2009

WATER 54773300 13-337802 368 CAMDEN DR 1.000 R-P 5/8 1/01/1999 0/00/2000  ON
Serial: 54773300 MANUAL 1/01/1999

WATER 70171549 13-337900 295 CAMDEN DR 1.000 S-P 5/8 1/01/2009 2/12/2009  ON
Serial: 70171549 MANUAL 1/01/2009

WATER 64642921 13-337905 448 CAMDEN DR 1.000 S-P 5/8" 1/01/2006 2/17/2006  ON
Serial: 64642921 MANUAL 1/01/2006

WATER 86011649 13-337906 404 CAMDEN DR 1.000 s 5/8" 2/14/2020 ON
Serial: 86011649 MANUAL

WATER 88239950 13-338000 285 CAMDEN DR 1.000 S 5/8" 4/21/2020  ON
Serial: 88239950 MANUAL

WATER 82386318 13-338100 281 CAMDEN DR 1.000 S 5/8" 5/04/2017  ON
Serial: 82386318 MANUAL

WATER 88239949 13-338200 259 CAMDEN DR 1.000 S 5/8" 4/21/2020  ON
Serial: 88239949 MANUAL

WATER 88239864 13-338300 243 CAMDEN DR 1.000 s 5/8" 9/21/2020  ON
Serial: 88239864 MANUAL

WATER 88239855 13-338301 221 CAMDEN DR 1.000 s 5/8" 9/21/2020  ON
Serial: 88239855 MANUAL

WATER 80003019 13-338305 203 CAMDEN DR 1.000 S 5/8" 12/01/2016 ON
Serial: 80003019 MANUAL

WATER 88239735 13-338307 201 CAMDEN DR 1.000 S 5/8" 9/21/2020  ON
Serial: 88239735 MANUAL

WATER 88239856 13-338310 185 CAMDEN DR 1.000 S 5/8" 9/21/2020  ON
Serial: 88239856 MANUAL

WATER 68691995 13-338320 167 CAMDEN DR 1.000 S-P 5/8 1/01/2008 1/22/2008  ON
Serial: 68691995 MANUAL 1/01/2008

WATER 88239867 13-338400 159 CAMDEN DR 1.000 S 5/8" 9/21/2020  ON
Serial: 88239867 MANUAL

WATER 90301452 13-338500 151 CAMDEN DR 1.000 S 5/8" 3/15/2022  ON
Serial: 90301452 MANUAL

WATER 88239866 13-338600 147 CAMDEN DR 1.000 S 5/8" 9/21/2020  ON

Serial: 88239866 MANUAL





2/11/2026 12:43 PM

DT PURCHSED:
DT INSTALL:
DT REPAIR:
DT TESTED:
BOOK:

0/00/0000 TO 99/99/9999
1/01/1900 TO 2/11/2026
0/00/0000 TO 99/99/9999
0/00/0000 TO 99/99/9999
13 - BOOK 13

- METER GROUP - METER NO# ACCOUNT NO#

————— SERVICE ADDRESS

--MXU ID--

---DMD MXU--- -DSCALE-

WATER
Serial:
WATER
Serial:
WATER

Serial:

88239863 13-338700
88239863

80003315 13-338900
80003315

88239865 13-338905
88239865

133 CAMDEN DR

123 YOUNGER DR

113 YOUNGER DR

REPORT PAGE : 15
SEQ :ACCOUNT
SIZE :All Sizes
MAKE :All Makes
-SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
--TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
1.000 S 5/8" 9/21/2020 ON
MANUAL
1.000 S 5/8" 12/01/2016  ON
MANUAL
1.000 S 5/8" 9/21/2020 ON
MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 16
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 14 - BOOK 14
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 93938439 14-339000 2347 ELON RD 1.000 S-IPRL 5/8" 9/30/2024  ON
Serial: 93938316 133747070 B
WATER 75618630 14-339020 2515 RIVER RD 000 S 5/8" 5/11/2015 ON
Serial: 75618630 MANUAL
WATER 75618810 14-339021 2505 RIVER RD 000 s 5/8" 11/01/2013  ON
Serial: 75618810 MANUAL
WATER 73681718 14-339022 2493 RIVER RD .000 S 5/8" 7/19/2012  ON
Serial: 73681718 MANUAL
WATER 71458455 14-339023 2487 RIVER RD .000 S 5/8" 6/01/2011  ON
Serial: 71458455 MANUAL
WATER 73988007 14-339024 2445 RIVER RD .000 S 5/8" 2/02/2015  ON
Serial: 73988007 MANUAL
WATER 100933478 14-339025 2441 RIVER RD 000 S-IPRL 5/8" 9/26/2025  ON
Serial: 100933478 MANUAL
WATER 73987930 14-339026 2423 RIVER RD 000 S 5/8" 11/27/2012  ON
Serial: 73987930 MANUAL
WATER 75618806 14-339027 2417 RIVER RD 000 s 5/8" 3/10/2014  ON
Serial: 75618806 MANUAL
WATER 72853894 14-339028 2420 RIVER RD .000 S 5/8" 1/20/2012  ON
Serial: 72853894 MANUAL
WATER 73681763 14-339029 2430 RIVER RD .000 S 5/8" 1/17/2014  ON
Serial: 73681763 MANUAL
WATER 80002973 14-339030 126 OAK SPRING LN .000 S 5/8" 3/30/2016  ON
Serial: 80002373 MANUAL
WATER 75618611 14-339031 148 OAK SPRING LN 000 S 5/8" 9/08/2015  ON
Serial: 75618611 MANUAL
WATER 70171245 14-339032 166 OAK SPRING LN 000 sS-P 5/8 1/01/2009 11/04/2008  ON
Serial: 70171245 MANUAL
WATER 75618668 14-339033 172 OAK SPRING LN 000 s 5/8" 2/22/2016  ON
Serial: 75618668 MANUAL
WATER 73987935 14-339034 180 OAK SPRING LN .000 S 5/8" 6/09/2016  ON
MANUAL
WATER 75618613 14-339035 188 OAK SPRING LN .000 S 5/8" 6/29/2015  ON
Serial: 75618613 MANUAL
WATER 70171382 14-339036 194 OAK SPRING LN .000 s-P 5/8 1/01/2009 0/00/2000  ON
Serial: 70171382 MANUAL 1/01/2009
WATER 75618610 14-339037 202 OAK SPRING LN 000 S 5/8" 6/29/2015  ON
Serial: 75618610 MANUAL
WATER 73681827 14-339038 230 OAK SPRING LN 000 S 5/8" 10/23/2012  ON
Serial: 73681827 MANUAL
WATER 80002976 14-339039 240 OAK SPRING LN 000 s 5/8" 10/17/2016 10/17/2016  ON
Serial: 80002976 MANUAL
WATER 72853821 14-339040 242 OAK SPRING LN .000 S 5/8" 9/25/2013  ON
Serial: 72853821 MANUAL
WATER 75618620 14-339041 252 OAK SPRING LN .000 S 5/8" 8/05/2015  ON
Serial: 75618620 MANUAL
WATER 70171293 14-339042 260 OAK SPRING LN .000 s-P 5/8 1/01/2009 2/25/2010  ON
Serial: 70171293 MANUAL
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DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 14 - BOOK 14

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 73987931 14-339043 264 OAK SPRING LN 1.000 S 5/8" 11/27/2012  ON
Serial: 73987931 MANUAL

WATER 80002939 14-339044 268 OAK SPRING LN 1.000 s 5/8" 2/26/2016  ON
Serial: 80002939 MANUAL

WATER 73987778 14-339045 266 OAK SPRING LN 1.000 S 5/8" 8/25/2015  ON
Serial: 73987778 MANUAL

WATER 75618615 14-339046 263 OAK SPRING LN 1.000 s 5/8" 7/17/2015  ON
Serial: 75618615 MANUAL

WATER 75618805 14-339047 261 OAK SPRING LN 1.000 S 5/8" 3/24/2014  ON
Serial: 75618805 MANUAL

WATER 75618802 14-339048 253 OAK SPRING LN 1.000 S 5/8" 3/24/2014  ON
Serial: 75618802 MANUAL

WATER 75618637 14-339049 243 OAK SPRING LN 1.000 S 5/8" 9/09/2015  ON
Serial: 75618637 MANUAL

WATER 70171641 14-339050 233 OAK SPRING LN 1.000 S-P 5/8 1/01/2009 4/27/2009  ON
Serial: 70171641 MANUAL

WATER 70171472 14-339051 209 OAK SPRING LN 1.000 S-P 5/8 1/01/2009 9/24/2009  ON
Serial: 70171472 MANUAL

WATER 80002826 14-339052 193 OAK SPRING LN 1.000 S 5/8" 8/23/2016 8/29/2016  ON
Serial: 80002826 MANUAL

WATER 73681742 14-339054 165 OAK SPRING LN 1.000 s 5/8" 11/01/2013  ON
Serial: 73681742 MANUAL

WATER 70171248 14-339055 151 OAK SPRING LN 1.000 s 5/8" 7/07/2011  ON
Serial: 70171248 MANUAL

WATER 75618632 14-339056 147 OAK SPRING LN 1.000 s 5/8" 5/11/2015 ON
Serial: 75618632 MANUAL

WATER 67641062 14-339060 2490 RIVER RD 1.000 S-P 1/01/2007 10/22/2007  ON
Serial: 67641062 MANUAL

WATER 80002985 14-339065 2576 RIVER RD 1.000 S 5/8" 4/27/2016  ON
Serial: 80002985 MANUAL

WATER 93938441 14-339100 2305 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938441 133301096 B

WATER 93938438 14-339105 2279 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938438 133747110 B

WATER 64643081 14-339200 2235 ELON RD 1.000 S-P 5/8 1/01/2006 2/17/2006  OFF
Serial: 64643081 MANUAL 1/01/2006

WATER 93938434 14-339300 114 ADDIE DR 1.000 S-IPRL 5/8" 9/30/2024  ON
Serial: 93938434 133747832 B

WATER 93938435 14-339400 2235 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 9998438 133747074 B

WATER 93938437 14-339500 2209 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938437 133746554 B

WATER 93938432 14-339510 2151 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938432 133746576 B

WATER 93938431 14-339600 2149 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 939+38432 133746574 B

WATER 93938428 14-339628 2129 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON

Serial: 939389428 133747534 B
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DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 14 - BOOK 14

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 93938422 14-339629 2123 ELON RD 1.000 S-IPRL 5/8" 9/30/2024  ON
Serial: 93938422 132467944 B

WATER 93938424 14-339631 2107 ELON RD 1.000 S-IPRL  5/8" 10/11/2024  ON
Serial: 93938424 133741106 B

WATER 93938421 14-339632 2099 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938421 133746552 B

WATER 93938417 14-339633 2091 ELON RD 1.000 S-IPRL  5/8" 10/11/2024  ON
Serial: 93938417 133747086 B

WATER 93938320 14-339634 2079 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938320 133295362 B

WATER 93938317 14-339635 2069 ELON RD 1.000 S-IPRL  5/8" 10/11/2024  ON
Serial: 93938317 133746562 B

WATER 93938328 14-339637 2023 ELON RD 1.000 S-IPRL 5/8" 9/30/2024  ON
Serial: 93938328 133295986 B

WATER 93938416 14-339638 2021 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938416 133746536 B

WATER 93938413 14-339639 104 SCENIC CAMP RD 1.000 S-IPRL  5/8" 10/02/2024  ON
Serial: 93938413 133296322 B

WATER 93938414 14-339641 128 SCENIC CAMP RD 1.000 S-IPRL  5/8" 10/02/2024  ON
Serial: 93938414 133747514 B

WATER 93938420 14-339642 129 SCENIC CAMP RD 1.000 S-IPRL  5/8" 10/10/2024  ON
Serial: 93938420 133296444 B

WATER 63056575 14-339644 138 SAGE LN 1.000 S-P 5/8 1/01/2006 7/05/2006  ON
Serial: 63056575 MANUAL

WATER 68691856 14-339647 120 SAGE LN 1.000 S-P 5/8 1/01/2008 7/23/2008  ON
Serial: 68691856 MANUAL

WATER 82386697 14-339648 124 SAGE LN 1.000 S 5/8" 5/04/2017  ON
Serial: 82386697 MANUAL

WATER 71458453 14-339649 110 SAGE LANE 1.000 S 5/8" 3/08/2011  ON
Serial: 71458453 MANUAL

WATER 73987985 14-339654 154 SAGE LN 1.000 S 5/8" 3/31/2015 ON
Serial: 73987985 MANUAL

WATER 71458479 14-339656 174 SAGE LN 1.000 S 5/8" 3/22/2011 3/22/2011  ON
Serial: 71458479 MANUAL

WATER 75618828 14-339657 188 SAGE LN 1.000 s 5/8" 8/27/2013  ON
Serial: 75618828 MANUAL

WATER 75618826 14-339659 184 SAGE LN 1.000 S 5/8" 8/27/2013  ON
Serial: 75618826 MANUAL

WATER 73987815 14-339660 190 SAGE LN 1.000 S 5/8" 5/30/2012  ON
Serial: 73987815 MANUAL

WATER 73987819 14-339661 196 SAGE LN 1.000 S 5/8" 5/30/2012  ON
Serial: 73987819 MANUAL

WATER 80003041 14-339662 204 SAGE LN 1.000 S 5/8" 10/19/2016 10/19/2016  ON
Serial: 80003041 MANUAL

WATER 71032048 14-339663 224 SAGE LN 1.000 S-P 5/8 1/01/2010 3/11/2010 ON
Serial: 71032048 MANUAL 1/01/2010

WATER 67641309 14-339664 228 SAGE LN 1.000 S-P 5/8 1/01/2007 10/22/2007  ON

Serial: 67641309 MANUAL 1/01/2007
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DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 14 - BOOK 14

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 75618827 14-339666 238 SAGE LN 1.000 S 5/8" 8/27/2013  ON
Serial: 75618827 MANUAL

WATER 80003033 14-339667 252 SAGE LN 1.000 S 5/8" 10/19/2016 10/19/2016  ON
Serial: 80003033 MANUAL

WATER 88239946 14-339669 245 SAGE LN 1.000 S 5/8" 9/22/2020  ON
Serial: 88239946 MANUAL

WATER 61088164 14-339671 231 SAGE LN 1.000 S-P 5/8 1/01/2003 12/03/2003  ON
Serial: 61088164 MANUAL

WATER 70171376 14-339672 219 SAGE LN 1.000 S-P 5/8 1/01/2009 2/12/2009  ON
Serial: 70171376 MANUAL 1/01/2009

WATER 54773393 14-339673 207 SAGE LN 1.000 S-P 1/01/1998 5/21/1999  ON
Serial: 54773393 MANUAL

WATER 73987818 14-339674 201 SAGE LN 1.000 S 5/8" 5/29/2012  ON
Serial: 73987818 MANUAL

WATER 75618830 14-339675 181 SAGE LN 1.000 S 5/8" 8/27/2013  ON
Serial: 75618830 MANUAL

WATER 71032045 14-339676 175 SAGE LN 1.000 0-P 5/8 1/01/2010 3/12/2010  ON
Serial: 71032045 MANUAL 1/01/2010

WATER 54773424 14-339677 165 SAGE LN 1.000 S-P 5/8 1/01/1998 8/16/1999  ON
Serial: 54773424 MANUAL

WATER 82386698 14-339695 121 SAGE LN 1.000 S 5/8" 5/04/2017  ON
Serial: 82386698 MANUAL

WATER 75618840 14-339700 134 JOHNS CREEK RD 1.000 S 5/8" 8/26/2013  ON
Serial: 75618840 MANUAL

WATER 75618838 14-339701 146 JOHNS CREEK RD 1.000 S 5/8" 8/26/2013  ON
Serial: 75618838 MANUAL

WATER 75618842 14-339702 150 JOHNS CREEK RD 1.000 S 5/8" 8/26/2013  ON
Serial: 75618842 MANUAL

WATER 75618837 14-339703 166 JOHNS CREEK RD 1.000 S 5/8" 8/26/2013  ON
Serial: 75618837 MANUAL

WATER 75618834 14-339704 168 JOHNS CREEK RD 1.000 S 5/8" 8/26/2013  ON
Serial: 75618834 MANUAL

WATER 73987848 14-339705 124 RIDGEVIEW LN 1.000 S 5/8" 3/14/2012  ON
Serial: 73987848 MANUAL

WATER 54773316 14-339706 128 RIDGEVIEW LN 1.000 R-P 5/8 1/01/1999 0/00/2000  ON
Serial: 54773316 MANUAL 1/01/1999

WATER 75618595 14-339707 136 RIDGEVIEW LN 1.000 S 5/8" 3/31/2015 ON
Serial: 75618595 MANUAL

WATER 54773302 14-339708 138 RIDGEVIEW LN 1.000 R-P 5/8 1/01/1999 0/00/2000  ON
Serial: 54773302 MANUAL 1/01/1999

WATER 80003398 14-339709 184 RIDGEVIEW LN 1.000 S 5/8" 12/01/2016  ON
Serial: 80003398 MANUAL

WATER 80002665 14-339710 194 RIDGEVIEW LN 1.000 s 5/8" 12/01/2016  ON
Serial: 80002665 MANUAL

WATER 84008038 14-339711 204 RIDGEVIEW LN 1.000 S 5/8" 9/19/2018  ON
Serial: 84008038 MANUAL

WATER 80003034 14-339712 210 RIDGEVIEW LN 1.000 S 5/8" 10/19/2016 10/19/2016  ON

Serial: 80003034 MANUAL
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DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 14 - BOOK 14

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 80003032 14-339713 218 RIDGEVIEW LN 1.000 S 5/8" 10/19/2016 10/19/2016  ON
Serial: 80003032 MANUAL

WATER 54773347 14-339714 226 RIDGEVIEW LN 1.000 R-P 5/8 1/01/1999 0/00/2000  ON
Serial: 54773347 MANUAL 1/01/1999

WATER 80002834 14-339715 236 RIDGEVIEW LN 1.000 S 5/8" 2/27/2017  ON
Serial: 80002834 MANUAL

WATER 75618594 14-339716 242 RIDGEVIEW LN 1.000 S 5/8" 3/31/2015 ON
Serial: 75618594 MANUAL

WATER 75618592 14-339717 244 RIDGEVIEW LN 1.000 S 5/8" 3/31/2015 ON
Serial: 75618592 MANUAL

WATER 54773352 14-339718 250 RIDGEVIEW LN 1.000 R-P 5/8 1/01/1999 0/00/2000  ON
Serial: 54773352 MANUAL 1/01/1999

WATER 80002664 14-339719 258 RIDGEVIEW LN 1.000 S 5/8" 2/08/2017  ON
Serial: 80002664 MANUAL

WATER 88240020 14-339720 266 RIDGEVIEW LN 1.000 s 5/8" 9/22/2020  ON
Serial: 88240020 MANUAL

WATER 88239943 14-339721 272 RIDGEVIEW LN 1.000 S 5/8" 9/22/2020  ON
Serial: 88239943 MANUAL

WATER 82386699 14-339722 278 RIDGEVIEW LN 1.000 S 5/8" 5/04/2017 ON
Serial: 82386699 MANUAL

WATER 82386365 14-339724 273 RIDGEVIEW LN 1.000 S 5/8" 5/04/2017  ON
Serial: 82386365 MANUAL

WATER 80003031 14-339725 265 RIDGEVIEW LN 1.000 S 5/8" 10/19/2016 10/19/2016  ON
Serial: 80003031 MANUAL

WATER 80003030 14-339726 255 RIDGEVIEW LN 1.000 S 5/8" 10/19/2016 10/19/2016  ON
Serial: 80003030 MANUAL

WATER 75618593 14-339750 243 RIDGEVIEW LN 1.000 s 5/8" 3/31/2015  OFF
Serial: 75618593 1.000 MANUAL

WATER 54773348 14-339751 235 RIDGEVIEW LN 1.000 R-P 5/8 1/01/1999 0/00/2000  ON
Serial: 54773348 MANUAL 1/01/1999

WATER 54773303 14-339752 227 RIDGEVIEW LN 1.000 R-P 5/8 1/01/1999 0/00/2000  ON
Serial: 54773303 MANUAL 1/01/1999

WATER 54773301 14-339753 223 RIDGEVIEW LN 1.000 R-P 5/8 1/01/1999 0/00/2000  ON
Serial: 54773301 MANUAL 1/01/1999

WATER 71032043 14-339754 217 RIDGEVIEW LN 1.000 R-P 5/8 1/01/2010 3/12/2010 ON
Serial: 71032043 MANUAL 1/01/2010

WATER 82386364 14-339755 240 CEDARDALE ACRES LN 1.000 S 5/8" 5/04/2017  ON
Serial: 82386364 MANUAL

WATER 75618833 14-339759 203 RIDGEVIEW LN 1.000 s 5/8" 8/26/2013  ON
Serial: 775618833 MANUAL

WATER 51182353 14-339760 191 RIDGEVIEW LN 1.000 R-P 5/8 1/01/1996 6/26/1994  ON
Serial: 51182353 MANUAL 1/01/1996

WATER 75618832 14-339761 187 RIDGEVIEW LN 1.000 S 5/8" 8/26/2013  ON
Serial: 75618832 MANUAL

WATER 86011917 14-339762 181 RIDGEVIEW LN 1.000 S 5/8" 5/31/2019 ON
Serial: 86011917 MANUAL

WATER 75618835 14-339763 171 RIDGEVIEW LN 1.000 S 5/8" 8/26/2013  ON

Serial: 75618835 MANUAL
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DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 14 - BOOK 14
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- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 82386363 14-339764 212 JOHNS CREEK RD 1.000 S 5/8" 5/04/2017  OFF
Serial: 82386363 1.000 MANUAL

WATER 75618836 14-339765 153 RIDGEVIEW LN 1.000 S 5/8" 8/26/2013  ON
Serial: 7518836 MANUAL

WATER 75618846 14-339766 151 RIDGEVIEW LN 1.000 S 5/8" 8/26/2013  ON
Serial: 75618846 MANUAL

WATER 73987793 14-339767 137 RIDGEVIEW LN 1.000 S 5/8" 5/30/2012  ON
Serial: 73987793 MANUAL

WATER 54773313 14-339769 119 RIDGEVIEW LN 1.000 R-P 5/8 1/01/1999 0/00/2000  ON
Serial: 54773313 MANUAL 1/01/1999

WATER 90301822 14-339770 206 JOHNS CREEK RD 1.000 S 5/8" 5/01/2023 ON
Serial: 90301822 MANUAL

WATER 54578694 14-339771 111 JOHNS CREEK RD 1.000 S-P 5/8 1/01/1998 1/12/1999  ON
Serial: 54578694 MANUAL

WATER 93938405 14-339772 1915 ELON RD 1.000 S-IPRL 5/8" 10/11/2024  ON
Serial: 93938405 133301330 B

WATER 93938459 14-339773 1913 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938459 133301370 B

WATER 93938460 14-339774 1911 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938460 133296442 B

WATER 93938458 14-339775 1909 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938458 133295408 B

WATER 66214233 14-339780 2647 RIVER RD 1.000 S-P 5/8 1/01/2006 2/22/2006  ON
Serial: 66214233 MANUAL 1/01/2006

WATER 90301469 14-339781 2629 RIVER RD 1.000 S 5/8" 7/25/2023  ON
Serial: 90301469 MANUAL

WATER 71032125 14-339790 2553 RIVER RD 1.000 S-P 5/8 1/01/2010 3/22/2010  ON
Serial: 71032125 MANUAL

WATER 93938412 14-339820 1667 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938412 133297540 B

WATER 93938361 14-339822 2578 RIVER RD 1.000 S-IPRL  5/8" 10/31/2024  ON
Serial: 93938361 133295038 MANUAL

WATER 93938407 14-339825 1639 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938407 133299652 B

WATER 93938408 14-339828 1617 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938408 133301202 B

WATER 93938411 14-339830 1595 ELON RD 1.000 S-IPRL 5/8" 9/30/2024  ON
Serial: 93938411 133302462 MANUAL

WATER 93938404 14-339840 1527 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938404 133302388 B

WATER 93938403 14-339875 142 & 144 FOSTER LN - TRAILER 1.000 S-IPRL 5/8" 9/30/2024  ON
Serial: 93938403 133296400 B

WATER 67640746 14-339880 1387 ELON RD 1.000 S-P 5/8 3/01/2007 3/22/2000  OFF
Serial: 67640746 MANUAL 3/01/2007

WATER 93938401 14-339885 188 REDBUD LN 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938401 133296710 B

WATER 93938398 14-339890 111 REDBUD LN 1.000 S-IPRL  5/8" 9/30/2024  ON

Serial: 93938398 133296354 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 22

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 14 - BOOK 14
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- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 93938399 14-339891 250 REDBUD LN 1.000 S-IPRL 5/8" 9/30/2024  ON
Serial: 93938399 133302598 B

WATER 93938409 14-339895 159 REDBUD LN 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938409 133296662 B

WATER 93938400 14-339896 113 REDBUD LN 1.000 S-IPRL  5/8" 10/10/2024  ON
Serial: 93938400 133302476 B

WATER 93938395 14-339898 156 REDBUD LN 1.000 S-IPRL 5/8" 9/30/2024 ON
Serial: 93938395 133299650 B

WATER 84008037 14-340001 124 HANS HILL DR 1.000 S 5/8" 9/21/2018  ON
Serial: 84008037 MANUAL

WATER 82386360 14-340002 148 HANS HILL DR 1.000 S 5/8" 5/04/2017 ON
Serial: 82386360 MANUAL

WATER 90301671 14-340003 172 HANS HILL DR 1.000 S 5/8" 1/12/2023  ON
Serial: 90301671 MANUAL

WATER 80003349 14-340004 210 HANS HILL DR 1.000 S 5/8" 10/26/2016 10/26/2016  ON
Serial: 80003349 MANUAL

WATER 82386361 14-340007 252 HANS HILL DR 1.000 S 5/8" 5/08/2017  ON
Serial: 82386361 MANUAL

WATER 67640772 14-340008 314 HANS HILL DR 1.000 R-P 5/8 3/01/2007 3/23/2007  ON
Serial: 67640772 MANUAL 3/01/2007

WATER 80003347 14-340009 326 HANS HILL DR 1.000 S 5/8" 10/26/2016 10/26/2016  ON
Serial: 80003347 MANUAL

WATER 80003344 14-340011 348 HANS HILL DR 1.000 S 5/8" 10/26/2016 10/26/2016  ON
Serial: 80003344 MANUAL

WATER 80003346 14-340012 349 HANS HILL DR 1.000 S 5/8" 10/26/2016 10/26/2016  ON
Serial: 80003346 MANUAL

WATER 80002754 14-340013 327 HANS HILL DR 1.000 S 5/8" 12/20/2016 12/20/2016  ON
Serial: 80002754 MANUAL

WATER 80003345 14-340014 309 HANS HILL DR 1.000 S 5/8" 10/26/2016 10/26/2016  ON
Serial: 80003345 MANUAL

WATER 82386750 14-340015 305 HANS HILL DR 1.000 S 5/8" 5/08/2017  ON
Serial: 82386750 MANUAL

WATER 64642922 14-340016 275 HANS HILL DR 1.000 S-P 5/8 1/01/2006 2/17/2006  ON
Serial: 64642922 MANUAL 1/01/2006

WATER 80003337 14-340017 257 HANS HILL DR 1.000 S 5/8" 10/26/2016 10/26/2016  ON
Serial: 80003337 MANUAL

WATER 75618839 14-340018 231 HANS HILL DR 1.000 S 5/8" 8/27/2013  ON
Serial: 75618839 MANUAL

WATER 80003336 14-340019 215 HANS HILL DR 1.000 S 5/8" 10/26/2016 10/26/2016  ON
Serial: 80003336 MANUAL

WATER 80003334 14-340020 201 HANS HILL DR 1.000 S 5/8" 10/26/2016 10/26/2016  ON
Serial: 80003334 MANUAL

WATER 60181485 14-340021 195 HANS HILL DR 1.000 S-P 5/8 1/01/2003 10/29/1993  ON
Serial: 60181485 MANUAL 1/01/2003

WATER 82386749 14-340022 161 HANS HILL DR 1.000 S 5/8" 5/08/2017 ON
Serial: 82386749 MANUAL

WATER 71032059 14-340023 145 HANS HILL DR 1.000 S-P 5/8 1/01/2010 3/12/2010 ON

Serial: 71032059 MANUAL 1/01/2010





2/11/2026 12:43 PM METER REPORT PAGE : 23

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 14 - BOOK 14

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 67640769 14-340024 137 HANS HILL DR 1.000 R-P 5/8 3/01/2007 3/23/2007  ON
Serial: 67640769 MANUAL 3/01/2007

WATER 70171396 14-340025 194 BERG DR 1.000 S-P 5/8 1/01/2009 2/12/2009  ON
Serial: 70171396 MANUAL 1/01/2009

WATER 82386755 14-340026 224 BERG DR 1.000 S 5/8" 5/08/2017  ON
Serial: 82386755 MANUAL

WATER 71032055 14-340027 262 BERG DR 1.000 S-P 5/8 1/01/2010 3/26/2010  ON
Serial: 71032055 MANUAL 1/01/2010

WATER 75618789 14-340028 280 BERG DR 1.000 s 5/8" 12/30/2013  ON
Serial: 75618789 MANUAL

WATER 82386745 14-340029 308 BERG DR 1.000 S 5/8" 5/08/2017 ON
Serial: 82386745 MANUAL

WATER 88240021 14-340030 314 BERG DR 1.000 S 5/8" 9/22/2020  ON
Serial: 88240021 MANUAL

WATER 86011918 14-340031 315 BERG DR 1.000 S 5/8" 4/11/2019  ON
Serial: 86011918 MANUAL

WATER 88239944 14-340032 297 BERG DR 1.000 S 5/8" 9/22/2020  ON
Serial: 88239944 MANUAL

WATER 68692035 14-340033 241 BERG DR 1.000 S-P 5/8 1/01/2008 1/22/2008  ON
Serial: 68692035 MANUAL 1/01/2008

WATER 64643062 14-340034 122 GARTIN PL 1.000 S-P 5/8 1/01/2006 2/17/2006  ON
Serial: 64643062 MANUAL 1/01/2006

WATER 64643064 14-340035 152 GARTIN PL 1.000 S-P 5/8 1/01/2006 2/17/2006  ON
Serial: 64643064 MANUAL 1/01/2006

WATER 82386746 14-340037 170 GARTIN PL 1.000 S 5/8" 5/08/2017  ON
Serial: 82386746 MANUAL

WATER 54578652 14-340039 194 GARTIN PL 1.000 S-P 5/8 1/01/1999 10/03/2000  ON
Serial: 54578652 MANUAL

WATER 64642919 14-340040 204 GARTIN PL 1.000 S-P 5/8 1/01/2006 2/17/2006  ON
Serial: 64642919 MANUAL 1/01/2006

WATER 84008076 14-340041 236 GARTIN PL 1.000 s 5/8" 2/21/2018  ON
Serial: 84008076 MANUAL

WATER 100933493 14-340043 282 GARTIN PL 1.000 S-IPRL  5/8" 10/22/2025  ON
Serial: 100933493 MANUAL

WATER 68692036 14-340045 295 GARTIN PL 1.000 S-P 5/8 1/01/2008 1/23/2008  ON
Serial: 68692036 MANUAL 1/01/2008

WATER 82386751 14-340046 293 GARTIN PL 1.000 S 5/8" 5/08/2017  ON
Serial: 82386751 MANUAL

WATER 71032058 14-340055 289 GARTIN PL 1.000 S-P 5/8 1/01/2010 3/12/2010  ON
Serial: 71032058 MANUAL 1/01/2010

WATER 68692039 14-340056 279 GARTIN PL 1.000 S-P 5/8 1/01/2008 1/23/2008  ON
Serial: 68692039 MANUAL 1/01/2008

WATER 67640770 14-340057 263 GARTIN PL 1.000 R-P 5/8 3/01/2007 3/23/2007  ON
Serial: 67640770 MANUAL 3/01/2007

WATER 70171358 14-340058 251 GARTIN PL 1.000 S-P 5/8 1/01/2009 2/12/2009  ON
Serial: 70171358 MANUAL 1/01/2009

WATER 43177909 14-340060 223 GARTIN PL 1.000 R-P 5/8 1/01/1989 4/23/1990  ON

Serial: 43177909 MANUAL 1/01/1989





2/11/2026 12:43 PM METER REPORT PAGE : 24

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 14 - BOOK 14

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 82386752 14-340061 219 GARTIN PL 1.000 S 5/8" 5/08/2017  ON
Serial: 82386752 MANUAL

WATER 67640767 14-340062 205 GARTIN PL 1.000 R-P 5/8 3/01/2007 3/23/2007  ON
Serial: 67640767 MANUAL 3/01/2007

WATER 66510751 14-340063 193 GARTIN PL 1.000 S-P 5/8 1/01/2006 11/14/2006  ON
Serial: 66510751 MANUAL 1/01/2006

WATER 88239941 14-340064 181 GARTIN PL 1.000 S 5/8" 9/22/2020  ON
Serial: 88239941 MANUAL

WATER 75618843 14-340065 155 GARTIN PL 1.000 S 5/8" 8/27/2013  ON
Serial: 75618843 MANUAL

WATER 67641345 14-340066 147 GARTIN PL 1.000 S-P 5/8 1/01/2007 8/07/2007  ON
Serial: 67641345 MANUAL 1/01/2007

WATER 64643065 14-340100 114 BLACK FOREST DR 1.000 S-P 5/8 1/01/2006 2/17/2006  ON
Serial: 64643065 MANUAL 1/01/2006

WATER 64643067 14-340101 168 BLACK FOREST DR 1.000 S-P 5/8 1/01/2006 2/17/2006  ON
Serial: 64643067 MANUAL 1/01/2006

WATER 90301520 14-340102 169 BLACK FOREST DR 1.000 S 5/8" 5/11/2022  ON
Serial: 90301520 MANUAL

WATER 84008073 14-340103 171 BLACK FOREST DR 1.000 s 5/8" 2/21/2018  ON
Serial: 84008073 MANUAL

WATER 72853823 14-340104 159 BLACK FOREST DR 1.000 s 5/8" 4/07/2011  ON
Serial: 72853823 MANUAL

WATER 73987814 14-340105 137 BLACK FOREST DR 1.000 S 5/8" 5/29/2012 ON
Serial: 73987814 MANUAL

WATER 70171264 14-340106 113 BLACK FOREST DR 1.000 S-P 1/01/2009 9/24/2009  ON
Serial: 70171264 MANUAL 1/01/2009

WATER 58575608 14-340107 33 HANS HILL LOT 1.000 R-P 5/8 1/01/2001 9/26/2001  ON
Serial: 58575608 MANUAL 1/01/2001

WATER 93938396 14-340201 967 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938396 133302200 B

WATER 93938384 14-340400 907 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938384 133296148 B

WATER 93938397 14-341100 551 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938397 133296130 B

WATER 70171395 14-341150 533 ELON RD 1.000 S-P 5/8 1/01/2009 2/12/2009  ON
Serial: 70171395 MANUAL 1/01/2009

WATER 93938406 14-341152 531 ELON RD 1.000 S-IPRL 5/8" 9/30/2024  ON
Serial: 93938406 133296612 B

WATER 93938388 14-341155 521 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938388 133292986 B

WATER 93938385 14-341156 519 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938385 133298238 B

WATER 93938370 14-341180 138 CARSON LN 1.000 S-IPRL  5/8" 10/10/2024  ON
Serial: 93938370 133301240 B

WATER 88239982 14-341185 131 CARSON LN 1.000 S 5/8" 9/22/2020  ON
Serial: 88239982 MANUAL

WATER 88239715 14-341188 121 CARSON LN 1.000 S 5/8" 9/22/2020  ON

Serial: 88239715 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 25

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 14 - BOOK 14

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 86011845 14-341199 113 CARSON LN 1.000 S 5/8" 1/22/2020  ON
Serial: 86011845 MANUAL

WATER 70171471 14-341395 194 MITCHELL BELL RD 1.000 S-P 5/8 1/01/2009 9/09/2009  ON
Serial: 70171471 MANUAL

WATER 70171468 14-341396 196 MITCHELL BELL RD 1.000 S-P 5/8 1/01/2009 9/09/2009  ON
Serial: 70171468 MANUAL

WATER 82386748 14-341400 226 MITCHELL BELL RD 1.000 S 5/8" 5/08/2017 ON
Serial: 82386748 MANUAL

WATER 82386747 14-341401 236 MITCHELL BELL RD 1.000 S 5/8" 5/08/2017 ON
Serial: 82386747 MANUAL

WATER 80003332 14-341402 246 MITCHELL BELL RD 1.000 S 5/8" 10/26/2016 10/26/2016  ON
Serial: 80003332 MANUAL

WATER 80003333 14-341403 254 MITCHELL BELL RD 1.000 S 5/8" 10/26/2016 10/26/2016  ON
Serial: 80003333 MANUAL

WATER 80003300 14-341404 262 MITCHELL BELL RD 1.000 s 5/8" 10/26/2016 10/26/2016  ON
Serial: 80003300 MANUAL

WATER 70171355 14-341406 132 BELLMONT DR 1.000 S-P 5/8 1/01/2009 2/12/2009  ON
Serial: 70171355 MANUAL 1/01/2009

WATER 70171371 14-341407 134 BELLMONT DR 1.000 S-P 5/8 1/01/2009 2/12/2009  ON
Serial: 70171371 MANUAL 1/01/2009

WATER 70171357 14-341408 131 BELLMONT DR 1.000 S-P 5/8 1/01/2009 2/12/2009  ON
Serial: 70171357 MANUAL 1/01/2009

WATER 70171375 14-341409 133 BELLMONT DR 1.000 S-P 5/8 1/01/2009 2/12/2009  ON
Serial: 70171375 MANUAL 1/01/2009

WATER 82386597 14-341425 282 MITCHELL BELL RD 1.000 S 5/8" 5/09/2017  ON
Serial: 82386597 MANUAL

WATER 82386596 14-341426 290 MITCHELL BELL RD 1.000 s 5/8" 5/09/2017  ON
Serial: 82386596 MANUAL

WATER 82386599 14-341427 298 MITCHELL BELL RD 1.000 S 5/8" 5/09/2017  ON
Serial: 82386599 MANUAL

WATER 82386595 14-341428 306 MITCHELL BELL RD 1.000 S 5/8" 5/09/2017 ON
Serial: 82386595 MANUAL

WATER 82386598 14-341429 310 MITCHELL BELL RD 1.000 S 5/8" 5/09/2017 ON
Serial: 82386598 MANUAL

WATER 80003335 14-341430 322 MITCHELL BELL RD 1.000 S 5/8" 10/26/2016 10/26/2016  ON
Serial: 80003335 MANUAL

WATER 88239716 14-341495 311 MITCHELL BELL RD 1.000 S 5/8" 9/22/2020  ON
Serial: 88239716 MANUAL

WATER 73987817 14-341501 219 MITCHELL BELL RD 1.000 s 5/8" 5/30/2012  ON
Serial: 73987817 MANUAL

WATER 70171542 14-341601 253 DILLARD RD 1.000 S-P 5/8 1/01/2009 2/13/2009  ON
Serial: 70171542 MANUAL 1/01/2009

WATER 88239717 14-341605 237 DILLARD RD 1.000 S 5/8" 9/23/2020  ON
Serial: 88239717 MANUAL

WATER 70171373 14-341610 215 DILLARD RD 1.000 S-P 5/8 1/01/2009 2/13/2009  ON
Serial: 70171373 MANUAL 1/01/2009

WATER 82386594 14-341614 191 DILLARD RD 1.000 S 5/8" 5/09/2017 ON

Serial: 82386594 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 26
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT

DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes

DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999

BOOK: 14 - BOOK 14
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 90301637 14-341625 185 DILLARD RD 1.000 S 5/8" 12/06/2023  ON
Serial: 90301637 MANUAL
WATER 64642931 14-341701 140 WESTWIND LN 103 000 S-P 5/8 1/01/2006 1/10/2006  ON
Serial: 64642931 MANUAL 1/01/2006
WATER 67640768 14-341702 140 WESTWIND LN 104 000 s-P 5/8 3/01/2007 3/23/2007  ON
Serial: 67640768 MANUAL 3/01/2007
WATER 67640771 14-341703 140 WESTWIND LN 203 .000 S-P 5/8 3/01/2007 3/23/2007  ON
Serial: 67640771 MANUAL 3/01/2007
WATER 67640826 14-341704 140 WESTWIND LN 204 .000 R-P 5/8 3/01/2007 3/23/2007  ON
Serial: 67640826 MANUAL 3/01/2007
WATER 67640824 14-341705 140 WESTWIND LN 202 .000 R-P 5/8 3/01/2007 3/23/2007  ON
Serial: 67640824 MANUAL 3/01/2007
WATER 67640823 14-341706 140 WESTWIND LN 201 000 R-P 5/8 3/01/2007 3/23/2007  ON
Serial: 67640823 MANUAL 3/01/2007
WATER 67640821 14-341707 140 WESTWIND LN 102 000 S-P 5/8 3/01/2007 3/23/2007  ON
Serial: 67640821 MANUAL 3/01/2007
WATER 67640825 14-341708 140 WESTWIND LN 101 000 s-P 5/8 3/01/2007 1/01/2007  ON
Serial: 67640825 MANUAL 3/01/2007
WATER 68691977 14-341709 156 WESTWIND LN 203 .000 S-P 5/8 1/01/2008 1/23/2008  ON
Serial: 68691977 MANUAL 1/01/2008
WATER 68691976 14-341710 156 WESTWIND LN 104 .000 s-P 5/8 1/01/2008 1/23/2008  ON
Serial: 68691976 MANUAL 1/01/2008
WATER 68691975 14-341711 156 WESTWIND LN 204 .000 s-P 5/8 1/01/2008 1/23/2008  ON
Serial: 68691975 MANUAL 1/01/2008
WATER 68691974 14-341712 156 WESTWIND LN 103 000 S-P 5/8 1/01/2008 1/23/2008  ON
Serial: 68691974 MANUAL 1/01/2008
WATER 68692067 14-341713 156 WESTWIND LN 202 000 sS-P 5/8 1/01/2008 1/23/2008  ON
Serial: 68692067 MANUAL 1/01/2008
WATER 68692066 14-341714 156 WESTWIND LN 201 000 s-P 5/8 1/01/2008 1/23/2008  ON
Serial: 68692066 MANUAL 1/01/2008
WATER 68692065 14-341715 156 WESTWIND LN 102 .000 s-P 5/8 1/01/2008 12/03/2008  ON
Serial: 68692065 MANUAL 1/01/2008
WATER 68692064 14-341716 156 WESTWIND LN 101 .000 s-P 5/8 1/01/2008 1/23/2008  ON
Serial: 68692064 MANUAL 1/01/2008
WATER 70171539 14-341898 122 WESTWIND CT 103 .000 S-P 5/8 1/01/2009 2/13/2009  ON
Serial: 70171539 MANUAL 1/01/2009
WATER 70171228 14-341899 122 WESTWIND CT 203 000 S 5/8" 9/27/2024  ON
Serial: 70171228 MANUAL
WATER 70171353 14-341900 122 WESTWIND LN 204 000 S-P 5/8 1/01/2009 2/13/2009  ON
Serial: 70171353 MANUAL 1/01/2009
WATER 48949434 14-341901 122 WESTWIND CT 104 000 s-P 5/8 1/01/1998 9/30/1994  ON
Serial: 48949434 MANUAL 1/01/1998
WATER 70171544 14-341902 122 WESTWIND CT 202 .000 s-P 5/8 1/01/2009 2/13/2009  ON
Serial: 70171544 MANUAL 1/01/2009
WATER 70171231 14-341903 122 WESTWIND LN 102 .000 s-P 5/8 1/01/2009 2/13/2009  ON
Serial: 70171231 MANUAL 1/01/2009
WATER 70171374 14-341904 122 WESTWIND LN 101 .000 s-P 5/8 1/01/2009 2/13/2009  ON
Serial: 70171374 MANUAL 1/01/2009





2/11/2026 12:43 PM METER REPORT PAGE : 217

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 14 - BOOK 14

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 70171541 14-341905 122 WESTWIND CT 201 1.000 S-P 5/8 1/01/2009 2/13/2009  ON
Serial: 70171541 MANUAL 1/01/2009

WATER 70171229 14-341906 121 WESTWIND LN 203 1.000 S-P 5/8 1/01/2009 2/13/2009  ON
Serial: 70171229 MANUAL 1/01/2009

WATER 70171158 14-341907 121 WESTWIND CT 103 1.000 S-P 5/8 1/01/1994 9/22/2009  ON
Serial: 70171158 MANUAL

WATER 70171400 14-341908 121 WESTWIND LN 204 1.000 S-P 5/8 1/01/2009 2/13/2009  ON
Serial: 70171400 MANUAL 1/01/2009

WATER 71032060 14-341909 121 WESTWIND LN 104 1.000 R-P 5/8 1/01/2010 3/15/2010  ON
Serial: 71032060 MANUAL 1/01/2010

WATER 70171232 14-341910 121 WESTWIND CT 101 1.000 S-P 5/8 1/01/2009 2/13/2009  ON
Serial: 70171232 MANUAL 1/01/2009

WATER 70171354 14-341911 121 WESTWIND LN 201 1.000 S-P 5/8 1/01/2009 2/13/2009  ON
Serial: 70171354 MANUAL 1/01/2009

WATER 70171427 14-341912 121 WESTWIND CT 102 1.000 R-P 5/8 1/01/2009 3/30/2009  ON
Serial: 70171427 MANUAL 1/01/2009

WATER 71032057 14-341913 121 WESTWIND LN 202 1.000 R-P 5/8 1/01/2010 3/15/2010  ON
Serial: 71032057 MANUAL 1/01/2010

WATER 88239714 14-342100  WESTWIND POOL 1.000 S 5/8" 9/23/2020  ON
Serial: 88239714 MANUAL

WATER 93938391 14-342200 373 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938391 133295354 B

WATER 93938387 14-342300 343 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938387 133296320 B

WATER 93938390 14-342400 335 ELON RD 1.000 S-IPRL 5/8" 9/30/2024  ON
Serial: 93938390 133301110 B

WATER 64643066 14-342410 128 MORGAN RD 1.000 S-P 5/8 1/01/2006 2/17/2006  ON
Serial: 64643066 MANUAL 1/01/2006

WATER 70171632 14-342412 144 MORGAN RD 1.000 S-P 5/8 1/01/2009 2/25/2009  ON
Serial: 70171632 MANUAL 1/01/2009

WATER 90301820 14-342413 152 MORGAN RD 1.000 s 5/8" 7/03/2023  ON
Serial: 90301820 MANUAL

WATER 70171554 14-342414 160 MORGAN RD 1.000 S-P 5/8 1/01/2009 2/25/2009  ON
Serial: 70171554 MANUAL 1/01/2009

WATER 88239993 14-342416 176 MORGAN RD 1.000 s 5/8" 4/17/2020  ON
Serial: 88239993 MANUAL

WATER 70171629 14-342417 192 MORGAN RD 1.000 S-P 5/8 1/01/2009 2/25/2009  ON
Serial: 70171629 MANUAL 1/01/2009

WATER 88239990 14-342420 198 MORGAN RD 1.000 S 5/8" 12/11/2020  ON
Serial: 88239990 MANUAL

WATER 70171369 14-342428 205 MORGAN RD 1.000 S-P 5/8 1/01/2009 2/25/2009  ON
Serial: 70171369 MANUAL 1/01/2009

WATER 72853862 14-342429 199 MORGAN RD 1.000 s 5/8" 4/07/2011  ON
Serial: 72853862 MANUAL

WATER 70171366 14-342430 193 MORGAN RD 1.000 S-P 5/8 1/01/2009 2/25/2009  ON
Serial: 70171366 MANUAL 1/01/2009

WATER 72853861 14-342431 181 MORGAN RD 1.000 s 5/8" 4/07/2011  ON

Serial: 72853861 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 28

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 14 - BOOK 14

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 80003301 14-342432 177 MORGAN RD 1.000 s 5/8" 10/27/2016 10/27/2016  ON
Serial: 80003301 MANUAL

WATER 71032020 14-342434 163 MORGAN RD 1.000 R-P 5/8 1/01/2010 3/26/2010  ON
Serial: 71032020 MANUAL 1/01/2010

WATER 68691859 14-342450 153 MORGAN RD 1.000 S-P 5/8 1/01/2008 7/21/2008  ON
Serial: 68691859 MANUAL

WATER 70171304 14-342495 145 MORGAN RD 1.000 S-P 5/8 1/01/2009 2/25/2009  ON
Serial: 70171304 MANUAL 1/01/2009

WATER 70171301 14-342498 125 MORGAN RD 1.000 S-P 5/8 1/01/2009 2/25/2009  ON
Serial: 70171301 MANUAL 1/01/2009

WATER 82386650 14-342505 115 MORGAN RD 1.000 S 5/8" 6/19/2017  OFF
Serial: 82386650 1.000 MANUAL

WATER 67640948 14-342549 181 GREEN DR 1.000 S-P 5/8 3/01/2007 3/23/2007  ON
Serial: 67640948 MANUAL 3/01/2007

WATER 82386826 14-342550 175 GREEN DR 1.000 S 5/8" 5/09/2017  ON
Serial: 82386826 MANUAL

WATER 86011693 14-342600 157 GREEN DR 1.000 S 5/8" 4/16/2020  ON
Serial: 86011693 MANUAL

WATER 88240035 14-342605 151 GREEN DR 1.000 s 5/8" 4/16/2020  ON
Serial: 88240035 MANUAL

WATER 88240031 14-342700 139 GREEN DR 1.000 s 5/8" 4/16/2020  ON
Serial: 88240031 MANUAL

WATER 88239972 14-342800 127 GREEN DR 1.000 s 5/8" 4/16/2020  ON
Serial: 88239972 MANUAL

WATER 88240032 14-342900 125 GREEN DR 1.000 S 5/8" 4/16/2020  ON
Serial: 88240032 MANUAL

WATER 88240034 14-343000 189 CRENNEL DR 1.000 s 5/8" 4/16/2020  ON
Serial: 88240034 MANUAL

WATER 88240033 14-343001 181 CRENNEL DR 1.000 S 5/8" 4/16/2020  ON
Serial: 88240033 MANUAL

WATER 68692068 14-343024 155 CRENNEL DR 1.000 S-P 5/8 1/01/2008 1/23/2008  ON
Serial: 68692068 MANUAL 1/01/2008

WATER 80003297 14-343025 151 CRENNEL DR 1.000 S 5/8" 10/27/2016 10/27/2016  ON
Serial: 80003297 MANUAL

WATER 88239730 14-343050 182 CRENNEL DR 1.000 s 5/8" 4/17/2020  ON
Serial: 88239730 MANUAL

WATER 93938389 14-343100 164 CRENNEL DR 1.000 S-IPRL 5/8" 10/04/2024  ON
Serial: 93938389 133295040 B

WATER 93938394 14-343200 160 CRENNEL DR 1.000 S-IPRL  5/8" 10/04/2024  ON
Serial: 93938394 133302632 B

WATER 93938393 14-343300 154 CRENNEL DR 1.000 S-IPRL  5/8" 4/03/2025  ON
Serial: 93938393 133299430 B

WATER 93938463 14-343500 191 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938463 133301326 B

WATER 93938415 14-343700 173 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON
Serial: 93938415 133295340 MANUAL

WATER 93938455 14-343800 171 ELON RD 1.000 S-IPRL  5/8" 9/30/2024  ON

Serial: 93938455 133296508 B





2/11/2026 12:43 PM METER REPORT PAGE : 29

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 14 - BOOK 14

————— SERVICE ADDRESS ------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 93938365 14-343803 151 ELON RD 1.000 S-IPRL 5/8" 9/04/2025 ON

Serial: 93938365 133295314 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 30

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 15 - BOOK 15

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 100933416 15-343750 331 JOHNS CREEK RD 1.000 S 5/8" 7/24/2025  ON
Serial: 100933416 MANUAL
WATER 90301546 15-343805 234 JOHNS CREEK RD 1.000 s 5/8" 8/16/2022  ON
Serial: 90301546 MANUAL
WATER 84008045 15-343809 108 BLACKBERRY RD 1.000 S 5/8" 2/21/2018  ON
Serial: 84008045 MANUAL
WATER 80002917 15-343812 274 JOHNS CREEK RD 1.000 S 5/8" 10/17/2016 10/17/2016  ON
Serial: 80002917 MANUAL
WATER 82386649 15-343815 380 JOHNS CREEK RD 1.000 S 5/8" 5/09/2017 ON
Serial: 82386649 MANUAL
WATER 90301514 15-343830 286 TRENTS LANDING RD 1.000 s 5/8" 10/25/2021  ON
Serial: 90301514 MANUAL
WATER 68691794 15-343833 178 TRENTS LANDING RD 1.000 S-P 5/8 1/01/2008 8/19/2008  ON
Serial: 68691794 MANUAL
WATER 56458153 15-343835 196 TRENTS LANDING RD 1.000 S-P 5/8 1/01/2002 12/02/2003  ON
Serial: 56458153 MANUAL
WATER 96688956 15-343839 144 TRENTS LANDING RD GARAG 1.000 S-IPRL  5/8" 2/04/2025  ON
Serial: 96688956 MANUAL
WATER 84008043 15-343840 144 TRENTS LANDING RD 1.000 s 5/8" 2/21/2018  ON
Serial: 84008043 MANUAL
WATER 84008040 15-343842 126 TRENTS LANDING RD 1.000 s 5/8" 10/02/2018  ON
Serial: 84008040 MANUAL
WATER 72853907 15-343843 624 JOHNS CREEK RD 1.000 S 5/8" 9/14/2011  ON
Serial: 72853907 MANUAL
WATER 60181335 15-343845 735 JOHNS CREEK RD 1.000 S-P 5/8 1/01/2003 12/02/2002  OFF
Serial: 60181335 MANUAL
WATER 86011815 15-343850 130 HUNTERS RIDGE 1.000 s 5/8" 5/28/2019  ON
Serial: 86011815 MANUAL
WATER 90301589 15-343852 140 HUNTERS RIDGE 1.000 S 5/8" 9/16/2024  ON
MANUAL
WATER 86011814 15-343853 144 HUNTERS RIDGE 1.000 S 5/8" 5/28/2019  ON
Serial: 86011814 MANUAL
WATER 75618698 15-343854 132 ARCHERS PL 1.000 s 5/8" 7/20/2015  ON
Serial: 75618698 MANUAL
WATER 84008042 15-343855 164 ARCHERS PL 1.000 s 5/8" 2/22/2018  ON
Serial: 84008042 MANUAL
WATER 88239975 15-343856 170 ARCHERS PL 1.000 S 5/8" 4/10/2020  ON
Serial: 88239975 MANUAL
WATER 88239976 15-343857 178 ARCHERS PL 1.000 S 5/8" 4/10/2020  ON
Serial: 88239976 MANUAL
WATER 86011825 15-343858 175 ARCHERS PL 1.000 S 5/8" 5/28/2019  ON
Serial: 86011825 MANUAL
WATER 68692010 15-343859 171 ARCHERS PL 1.000 S-P 5/8 1/01/2008 4/23/2008  ON
Serial: 68692010 MANUAL
WATER 88239974 15-343860 167 ARCHERS PL 1.000 s 5/8" 4/10/2020  ON
Serial: 88239974 MANUAL
WATER 86011824 15-343861 163 ARCHERS PL 1.000 S 5/8" 5/28/2019  ON

Serial: 86011824 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 31

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 15 - BOOK 15

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 88239971 15-343862 153 ARCHERS PL 1.000 S 5/8" 4/16/2020  ON
Serial: 88239971 MANUAL

WATER 82386825 15-343863 149 ARCHERS PL 1.000 S 5/8" 5/09/2017  ON
Serial: 82386825 MANUAL

WATER 88240036 15-343864 139 ARCHERS PL 1.000 S 5/8" 4/16/2020  ON
Serial: 88240036 MANUAL

WATER 70171386 15-343865 115 ARCHERS PL 1.000 S-P 5/8 1/01/2009 7/23/2009  ON
Serial: 70171386 MANUAL

WATER 88239817 15-344100 4112 S AMHERST HWY 1.000 s 5/8" 7/07/2020  ON
Serial: 88239817 MANUAL

WATER 67640947 15-345100 168 GREAT OAKS DR 1.000 R-P 5/8 3/01/2007 3/23/2007  ON
Serial: 67640947 MANUAL 3/01/2007

WATER 88239706 15-345200 176 GREAT OAKS DR 1.000 S 5/8" 4/17/2020  ON
Serial: 88239706 MANUAL

WATER 88240072 15-345201 104 IDLEBROOK DR 1.000 s 5/8" 4/16/2020  ON
Serial: 88240072 MANUAL

WATER 88240071 15-345205 120 IDLEBROOK DR 1.000 S 5/8" 4/16/2020  ON
Serial: 88240071 MANUAL

WATER 82386651 15-345210 143 IDLEBROOK DR 1.000 S 5/8" 5/09/2017 ON
Serial: 82386651 MANUAL

WATER 88240070 15-345300 111 IDLEBROOK DR 1.000 s 5/8" 4/16/2020  ON
Serial: 88240070 MANUAL

WATER 88240069 15-345400 103 IDLEBROOK DR 1.000 s 5/8" 4/16/2020  ON
Serial: 88240069 MANUAL

WATER 88240068 15-345500 205 GREAT OAKS DR 1.000 S 5/8" 4/16/2020  ON
Serial: 88240068 MANUAL

WATER 88240067 15-345600 197 GREAT OAKS DR 1.000 s 5/8" 4/16/2020  ON
Serial: 88240067 MANUAL

WATER 88240029 15-345700 189 GREAT OAKS DR 1.000 S 5/8" 4/16/2020  ON
Serial: 88240029 MANUAL

WATER 88240030 15-345800 179 GREAT OAKS DR 1.000 s 5/8" 4/16/2020  ON
Serial: 88240030 MANUAL

WATER 88240026 15-345900 155 GREAT OAKS DR 1.000 s 5/8" 4/16/2020  ON
Serial: 88240026 MANUAL

WATER 88240025 15-346000 145 GREAT OAKS DR 1.000 s 5/8" 4/16/2020  ON
Serial: 88240025 MANUAL

WATER 64642933 15-346100 139 GREAT OAKS DR 1.000 R-P 5/8 1/01/2006 1/12/2006  ON
Serial: 64642933 MANUAL 1/01/2006

WATER 88240028 15-346102 127 & 129 GREAT OAKS DR 1.000 s 5/8" 4/16/2020  ON
Serial: 88240028 MANUAL

WATER 86011712 15-346440 122 GOUYER DR 1.000 S 5/8" 4/27/2020  ON
Serial: 86011712 MANUAL

WATER 88239991 15-346450 114 CHAPEL VIEW DR 1.000 s 5/8" 4/24/2020  ON
Serial: 88239991 MANUAL

WATER 84007980 15-346460 122 CHAPEL VIEW DR 1.000 S 5/8" 3/17/2020  ON
Serial: 84007980 MANUAL

WATER 88239705 15-346500 126 CHAPEL VIEW DR 1.000 s 5/8" 4/17/2020  ON

Serial: 88239705 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 32

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 15 - BOOK 15

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 59295766 15-346600 138 CHAPEL VIEW DR 1.000 R-P 5/8 1/01/2002 5/28/1987  ON
Serial: 59295766 MANUAL 1/01/2002

WATER 80003296 15-346700 146 CHAPEL VIEW DR 1.000 s 5/8" 10/27/2016 10/27/2016  ON
Serial: 80003296 MANUAL

WATER 80003298 15-346800 150 CHAPEL VIEW DR 1.000 S 5/8" 10/27/2016 10/27/2016  ON
Serial: 80003298 MANUAL

WATER 82386648 15-346900 164 CHAPEL VIEW DR 1.000 S 5/8" 5/09/2017 ON
Serial: 82386648 MANUAL

WATER 88239704 15-346901 170 CHAPEL VIEW DR 1.000 s 5/8" 4/17/2020  ON
Serial: 88239704 MANUAL

WATER 88239703 15-346999 171 CHAPEL VIEW DR 1.000 s 5/8" 4/17/2020  ON
Serial: 88239703 MANUAL

WATER 59295764 15-347000 163 CHAPEL VIEW DR 1.000 R-P 5/8 1/01/2002 0/00/2000  ON
Serial: 59295764 MANUAL 1/01/2002

WATER 88239701 15-347100 157 CHAPEL VIEW DR 1.000 s 5/8" 4/17/2020  ON
Serial: 88239701 MANUAL

WATER 88240027 15-347200 149 CHAPEL VIEW DR 1.000 S 5/8" 4/17/2020  ON
Serial: 88240027 MANUAL

WATER 88239702 15-347300 141 CHAPEL VIEW DR 1.000 s 5/8" 4/17/2020  ON
Serial: 88239702 MANUAL

WATER 88239729 15-347400 135 CHAPEL VIEW DR 1.000 s 5/8" 4/17/2020  ON
Serial: 88239729 MANUAL

WATER 88239726 15-347500 107 CHAPEL VIEW DR 1.000 s 5/8" 4/21/2020  ON
Serial: 88239726 MANUAL

WATER 88239725 15-347600 150 GOUYER DR 1.000 S 5/8" 4/21/2020  ON
Serial: 88239725 MANUAL

WATER 88239728 15-347700 176 GOUYER DR 1.000 S 5/8" 4/21/2020  ON
Serial: 88239728 MANUAL

WATER 90301467 15-347701 194 GOUYER DR 1.000 S 5/8" 9/20/2023  ON
Serial: 90301467 MANUAL

WATER 88239727 15-347702 196 GOUYER DR 1.000 s 5/8" 4/21/2020  ON
Serial: 88239727 MANUAL

WATER 80002663 15-347703 233 GOUYER DR 1.000 S 5/8" 8/23/2017  ON
Serial: 80002663 MANUAL

WATER 88239747 15-347720 275 GOUYER DR 1.000 s 5/8" 4/21/2020  ON
Serial: 88239747 MANUAL

WATER 88239748 15-347800 185 GOUYER DR 1.000 S 5/8" 4/21/2020  ON
Serial: 88239748 MANUAL

WATER 88239745 15-347900 171 GOUYER DR 1.000 S 5/8" 4/21/2020  ON
Serial: 88239745 MANUAL

WATER 88239746 15-348000 161 GOUYER DR 1.000 S 5/8" 4/21/2020  ON
Serial: 88239746 MANUAL

WATER 80003028 15-348100 140 ROYAL CIR 1.000 S 5/8" 10/26/2016 10/26/2016  ON
Serial: 80003028 MANUAL

WATER 90301468 15-348200 146 ROYAL CIR 1.000 S 5/8" 9/23/2023  ON
Serial: 90301468 MANUAL

WATER 71032023 15-348300 158 ROYAL CIR 1.000 R-P 5/8 1/01/2010 3/26/2010  ON

Serial: 71032023 MANUAL 1/01/2010





2/11/2026 12:43 PM METER REPORT PAGE : 33

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 15 - BOOK 15

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 64642925 15-348301 166 ROYAL CIR 1.000 S-P 5/8 1/01/2006 2/22/2006  ON
Serial: 64642925 MANUAL 1/01/2006

WATER 88239744 15-348400 188 ROYAL CIR 1.000 S 5/8" 4/21/2020  ON
Serial: 88239744 MANUAL

WATER 88240065 15-348500 189 ROYAL CIR 1.000 S 5/8" 4/21/2020  ON
Serial: 88240065 MANUAL

WATER 80003026 15-348600 179 ROYAL CIR 1.000 S 5/8" 10/26/2016 10/26/2016  ON
Serial: 80003026 MANUAL

WATER 70171604 15-348605 173 ROYAL CIR 1.000 R-P 5/8 1/01/2009 3/27/2009  ON
Serial: 70171604 MANUAL 1/01/2009

WATER 88240066 15-348700 165 ROYAL CIR 1.000 s 5/8" 4/21/2020  ON
Serial: 88240066 MANUAL

WATER 80002918 15-348750 145 ROYAL CIR 1.000 S 5/8" 2/13/2017  ON
Serial: 80002918 MANUAL

WATER 82386818 15-348800 143 ROYAL CIR 1.000 S 5/8" 6/02/2017  ON
Serial: 82386818 MANUAL

WATER 86011665 15-348825 139 ROYAL CIR 1.000 S 5/8" 2/03/2023  ON
Serial: 86011665 MANUAL

WATER 75618760 15-348850 137 ROYAL CIR 1.000 S 5/8" 8/25/2014  ON
Serial: 75618760 MANUAL

WATER 88240061 15-349000 131 ROYAL CIR 1.000 s 5/8" 4/21/2020  ON
Serial: 88240061 MANUAL

WATER 88240062 15-349100 125 ROYAL CIR 1.000 s 5/8" 4/21/2020  ON
Serial: 88240062 MANUAL

WATER 70171602 15-349200 137 GOUYER DR 1.000 R-P 5/8 1/01/2009 3/27/2009  ON
Serial: 70171602 MANUAL 1/01/2009

WATER 88240063 15-349300 135 GOUYER DR 1.000 S 5/8" 4/21/2020  ON
Serial: 88240063 MANUAL

WATER 88240064 15-349400 121 GOUYER DR 1.000 S 5/8" 4/21/2020  ON
Serial: 88240064 MANUAL

WATER 67640950 15-360600 4023 S AMHERST HWY 1.000 S-P 5/8 3/01/2007 3/23/2007  OFF
Serial: 67640950 MANUAL 3/01/2007

WATER 72853873 15-360700 4009 S AMHERST HWY 1.000 S 5/8" 8/07/2013  ON
Serial: 72853873 MANUAL

WATER 46711707 15-360800 4007 S AMHERST HWY 1.000 R-P 1/01/1992 5/28/2020  ON

MANUAL 1/01/1992

WATER 67412709 15-360900 106 AMER CIR 1.000 R-P 5/8 1/01/2007 7/13/2011  ON
Serial: 67412709 MANUAL 1/01/2007

WATER 67640949 15-361300 129 AMER CIR 1.000 S-P 5/8 1/01/2007 3/23/2007  OFF
Serial: 67640949 MANUAL 1/01/2007

WATER 67640952 15-361500 3979 S AMHERST HWY 1.000 S-P 5/8 1/01/2007 3/23/2007  ON
Serial: 67640952 MANUAL 1/01/2007

WATER 67640880 15-361600 3965 S AMHERST HWY 1.000 S-P 5/8 1/01/2007 3/27/2007  ON
Serial: 67640880 MANUAL 1/01/2007

WATER 80003355 15-361800 3941 S AMHERST HWY 1.000 S 5/8" 10/26/2016 10/26/2016  ON
Serial: 80003355 MANUAL

WATER 67412728 15-362000 3921 S AMHERST HWY 1.000 S-P 5/8 1/01/2007 2/28/2007  ON

Serial: 67412728 MANUAL 1/01/2007





2/11/2026 12:43 PM METER REPORT PAGE : 34

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 15 - BOOK 15

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 73988023 15-362100 3907 S AMHERST HWY 1.000 S 5/8" 3/12/2015  ON
Serial: 73988023 MANUAL

WATER 75618577 15-362200 3873 S AMHERST HWY 1.000 s 5/8" 4/07/2015  OFF
Serial: 75618577 1.000 MANUAL

WATER 67640875 15-362600 3841 S AMHERST HWY 1.000 S-P 5/8 1/01/2007 3/27/2007  ON
Serial: 67640875 MANUAL 1/01/2007

WATER 82386816 15-364400 137 HIGHVIEW DR 1.000 S 5/8" 6/02/2017  OFF
Serial: 82386816 1.000 MANUAL

WATER 82386706 15-364500 127 HIGHVIEW DR 1.000 S 5/8" 6/02/2017  ON
Serial: 82386706 MANUAL

WATER 68692034 15-364600 125 HIGHVIEW DR 1.000 S-P 5/8 1/01/2008 1/23/2008  OFF
Serial: 68692034 MANUAL 1/01/2008

WATER 67640899 15-365300 140 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2007 3/14/2007  ON
Serial: 67640899 MANUAL 1/01/2007

WATER 67640876 15-365400 146 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2007 3/27/2007  ON
Serial: 67640876 MANUAL 1/01/2007

WATER 70171317 15-365500  152-154 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2009 9/23/2009  ON
Serial: 70171317 MANUAL 1/01/2009

WATER 82386707 15-365600 156-158 DIXIE AIRPORT RD 1.000 S 5/8" 6/02/2017  ON
Serial: 82386707 MANUAL

WATER 67640878 15-365700 170 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2007 3/28/2007  ON
Serial: 67640878 MANUAL 1/01/2007

WATER 90301479 15-365800 176 DIXIE AIRPORT RD 1.000 s 5/8" 7/03/2023  ON
Serial: 90301479 MANUAL

WATER 67640877 15-365900 184 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2007 3/28/2007  ON
Serial: 67640877 MANUAL 1/01/2007

WATER 67640939 15-366000 192 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2007 3/28/2007  ON
Serial: 67640939 MANUAL 1/01/2007

WATER 82386704 15-366100 200 DIXIE AIRPORT RD 1.000 S 5/8" 6/02/2017  ON
Serial: 82386704 MANUAL

WATER 80003354 15-366200 210 DIXIE AIRPORT RD 1.000 S 5/8" 10/26/2016 10/26/2016  ON
Serial: 80003354 MANUAL

WATER 80003353 15-366400 208 DIXIE AIRPORT RD 1.000 S 5/8" 10/26/2016 10/26/2016  ON
Serial: 80003353 MANUAL

WATER 82386705 15-366600 228 DIXIE AIRPORT RD 1.000 S 5/8" 6/02/2017  ON
Serial: 82386705 MANUAL

WATER 82386703 15-366700 234 DIXIE AIRPORT RD 1.000 S 5/8" 6/02/2017  ON
Serial: 82386703 MANUAL

WATER 90301798 15-366800 246 DIXIE AIRPORT RD 1.000 s 5/8" 9/06/2022  ON
Serial: 90301798 MANUAL

WATER 73681796 15-366900 258 DIXIE AIRPORT RD 1.000 S 5/8" 6/28/2012  ON
Serial: 73681796 MANUAL

WATER 67640936 15-367000 266 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2007 3/28/2007  ON
Serial: 67640936 MANUAL 1/01/2007

WATER 82386702 15-367100 272 DIXIE AIRPORT RD 1.000 S 5/8" 6/02/2017  ON
Serial: 82386702 MANUAL

WATER 68691960 15-367300 126 NEW SHANNON RD 1.000 S-P 5/8 1/01/2008 1/15/2008  ON

Serial: 68691960 MANUAL 1/01/2008





2/11/2026 12:43 PM METER REPORT PAGE : 35

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 15 - BOOK 15

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 73987883 15-367400 174 NEW SHANNON RD 1.000 S 5/8" 2/23/2012  ON
Serial: 73987883 MANUAL

WATER 73987859 15-367500 175 NEW SHANNON DR 1.000 s 5/8" 7/24/2012  ON
Serial: 73987859 MANUAL

WATER 67640935 15-367600 159 NEW SHANNON DR 1.000 S-P 5/8 1/01/2007 3/28/2007  ON
Serial: 67640935 MANUAL 1/01/2007

WATER 80003351 15-367700 127 NEW SHANNON RD 1.000 S 5/8" 10/26/2016 10/26/2016  ON
Serial: 80003351 MANUAL

WATER 67640938 15-367900 286 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2007 3/28/2007  ON
Serial: 67640938 MANUAL 1/01/2007

WATER 67640940 15-368000 300 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2007 3/28/2007  ON
Serial: 67640940 MANUAL 1/01/2007

WATER 67640937 15-368100 304 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2007 3/28/2007  ON
Serial: 67640937 MANUAL 1/01/2007

WATER 82386839 15-368300 318 DIXIE AIRPORT RD 1.000 s 5/8" 6/02/2017  ON
Serial: 82386839 MANUAL

WATER 82386838 15-368400 326 DIXIE AIRPORT RD 1.000 S 5/8" 6/02/2017  ON
Serial: 82386838 MANUAL

WATER 88239804 15-368590 340 DIXIE AIRPORT RD 1.000 S 5/8" 6/09/2021  ON
Serial: 88239804 MANUAL

WATER 800003352 15-368600 342 DIXIE AIRPORT RD 1.000 S 5/8" 3/03/2021  ON
Serial: 80003352 MANUAL

WATER 73987895 15-368700 346 DIXIE AIRPORT RD 1.000 s 5/8" 2/23/2012  ON
Serial: 73987895 MANUAL

WATER 88239938 15-368900 358 DIXIE AIRPORT RD 1.000 S 5/8" 6/05/2020  ON
Serial: 88239938 MANUAL

WATER 67640933 15-369000 362 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2007 3/28/2007  ON
Serial: 67640933 MANUAL 1/01/2007

WATER 67640930 15-369100 122 LYNN ST 1.000 S-P 5/8 1/01/2007 3/28/2007  ON
Serial: 67640930 MANUAL 1/01/2007

WATER 67640931 15-369102 124 LYNN ST 1.000 S-P 5/8 1/01/2007 3/28/2007  ON
Serial: 67640931 MANUAL 1/01/2007

WATER 67640934 15-369105 132 LYNN ST 1.000 S-P 5/8 1/01/2007 3/28/2007  ON
Serial: 67640934 MANUAL 1/01/2007

WATER 67640929 15-369200 376 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2007 3/28/2007  ON
Serial: 67640929 MANUAL 1/01/2007

WATER 82386837 15-370000 380 DIXIE AIRPORT RD & A 1.000 S 5/8" 6/02/2017  ON
Serial: 82386837 MANUAL

WATER 67640932 15-370100 117 LYNN ST A 1.000 R-P 5/8 1/01/2007 3/28/2007  ON
Serial: 67640932 MANUAL 1/01/2007

WATER 54773264 15-370200 124 ADRIAN ST B 1.000 R-P 5/8 1/01/1996 0/00/2000  ON
Serial: 54773264 MANUAL 1/01/1996

WATER 68691957 15-370300 124 ADRIAN ST A 1.000 S-P 5/8 1/01/2008 1/16/2008  ON
Serial: 68691957 MANUAL 1/01/2008

WATER 67640861 15-370400 117 LYNN ST B 1.000 R-P 5/8 1/01/2007 3/28/2007  ON
Serial: 67640861 MANUAL 1/01/2007

WATER 67640858 15-370500 130 ADRIAN ST B 1.000 R-P 5/8 1/01/2007 3/29/2007  ON

Serial: 67640858 MANUAL 1/01/2007





2/11/2026 12:43 PM METER REPORT PAGE : 36
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT

DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes

DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999

BOOK: 15 - BOOK 15
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 67640857 15-370600 130 ADRIAN ST 1.000 S-P 5/8 1/01/2007 3/29/2007  ON
Serial: 67640857 MANUAL 1/01/2007
WATER 67640860 15-370700 142 ADRIAN ST 1.000 S-P 5/8 1/01/2007 3/29/2007  ON
Serial: 67640860 MANUAL 1/01/2007
WATER 68691958 15-370800 160 ADRIAN ST 1.000 S-P 1/01/2008 1/16/2008  ON
Serial: 68691958 MANUAL 1/01/2008
WATER 68691956 15-370900 131 LEE DR 1.000 s-P 5/8 1/01/2008 1/16/2008  ON
Serial: 68691956 MANUAL 1/01/2008
WATER 54773267 15-370901 115 LEE DR 1.000 R-P 5/8 1/01/1999 0/00/2000  ON
Serial: 54773267 MANUAL 1/01/1999
WATER 67640862 15-370902 109 LEE DR 1.000 S-P 5/8 1/01/2007 3/29/2007  ON
Serial: 67640862 MANUAL 1/01/2007
WATER 67640859 15-370948 136 EMERSON LN 1.000 S-P 5/8 1/01/2007 3/29/2007  ON
Serial: 67640859 MANUAL 1/01/2007
WATER 100933479 15-370950 144 EMERSON LN 1.000 S-IPRL  5/8" 10/02/2025  ON

Serial: 100933479 MANUAL
WATER 67640873 15-370951 158 EMERSON LN 1.000 S-P 5/8 1/01/2007 3/29/2007  ON
Serial: 67640873 MANUAL 1/01/2007
WATER 67640870 15-371200 136 LEE DR 1.000 R-P 5/8 1/01/2007 3/29/2007  ON
Serial: 67640870 MANUAL 1/01/2007
WATER 67640874 15-371201 140 LEE DR 1.000 S-P 5/8 1/01/2007 3/29/2007  ON
Serial: 67640874 MANUAL 1/01/2007
WATER 67640871 15-371300 150 LEE DR 1.000 S-P 5/8 1/01/2007 3/29/2007  ON
Serial: 67640871 MANUAL 1/01/2007
WATER 67640872 15-371400 158 LEE DR 1.000 S-P 5/8 1/01/2007 3/29/2007  ON
Serial: 67640872 MANUAL 1/01/2007
WATER 67640869 15-371500 162 LEE DR 1.000 S-P 5/8 1/01/2007 3/29/2007  ON
Serial: 67640869 MANUAL 1/01/2007
WATER 68691961 15-371600 172 LEE DR 1.000 S-P 5/8 1/01/2008 1/16/2008  ON
Serial: 68691961 MANUAL 1/01/2008
WATER 71032019 15-371601 174 LEE DR 1.000 R-P 5/8 1/01/2010 3/26/2010  ON
Serial: 71032019 MANUAL 1/01/2010
WATER 67640919 15-371700 169 LEE DR 1.000 S-P 5/8 1/01/2007 4/06/2007  ON
Serial: 67640919 MANUAL 1/01/2007
WATER 67640922 15-371701 163 LEE DR 1.000 S-P 5/8 1/01/2007 4/06/2007  ON
Serial: 67640922 MANUAL 1/01/2007
WATER 67640921 15-371800 155 LEE DR 1.000 S-P 5/8 1/01/2007 4/06/2007  ON
Serial: 67640921 MANUAL 1/01/2007
WATER 68691959 15-372000 145 ADRIAN ST 1.000 S-P 5/8 1/01/2008 1/16/2008  ON
Serial: 68691959 MANUAL 1/01/2008
WATER 82386835 15-372100 139 ADRIAN ST 1.000 S 5/8" 6/02/2017  ON
Serial: 82386835 MANUAL
WATER 82386834 15-372200 131 ADRIAN ST 1.000 S 5/8" 6/02/2017  ON
Serial: 82386834 MANUAL
WATER 82386298 15-372300 125 ADRIAN ST 1.000 S 5/8" 5/15/2017 ON
Serial: 82386298 MANUAL
WATER 72853860 15-374100 381 DIXIE AIRPORT RD 1.000 s 5/8" 4/07/2011  ON
Serial: 72853860 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 37
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 15 - BOOK 15
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 68692002 15-374300 363 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2008 1/16/2008  ON
Serial: 68692002 MANUAL 1/01/2008
WATER 54773299 15-374350 355 DIXIE AIRPORT RD 1.000 R-P 5/8 1/01/1999 0/00/2000  ON
Serial: 54773299 MANUAL 1/01/1999
WATER 80003408 15-374400 347 DIXIE AIRPORT RD 1.000 S 5/8" 10/26/2016 10/26/2016  ON
Serial: 80003408 MANUAL

WATER 59660607 15-374500 124 HILLCREST CIR 1.000 R-P 5/8 1/01/2002 4/03/2002  ON
Serial: 59660607 MANUAL 1/01/2002

WATER 70171523 15-374505 134 HILLCREST CIR & 136 1.000 R-P 5/8 1/01/2009 3/27/2009  ON
Serial: 70171523 MANUAL 1/01/2009

WATER 67640918 15-374600 138 HILLCREST CR 1.000 S-P 5/8 1/01/2007 4/06/2007  ON
Serial: 67640918 MANUAL 1/01/2007

WATER 80003409 15-374700 148 HILLCREST CR 1.000 S 5/8" 10/26/2016 10/26/2016  ON
Serial: 80003409 MANUAL

WATER 64642924 15-374800 156 HILLCREST CR 1.000 S-P 1/01/2006 2/22/2006  ON
Serial: 64642924 MANUAL 1/01/2006

WATER 70171524 15-374805 166 HILLCREST CR 1.000 R-P 5/8 1/01/2009 3/27/2009  ON
Serial: 70171524 MANUAL 1/01/2009

WATER 67640917 15-374900 174 HILLCREST CR 1.000 S-P 5/8 1/01/2007 4/06/2007  ON
Serial: 67640917 MANUAL 1/01/2007

WATER 70171599 15-375000 190 HILLCREST CIR 1.000 R-P 5/8 1/01/2009 3/27/2009  ON
Serial: 70171599 MANUAL 1/01/2009

WATER 67640945 15-375100 191 HILLCREST CIR 1.000 S-P 5/8 1/01/2007 4/06/2007  ON
Serial: 67640945 MANUAL 1/01/2007

WATER 67640920 15-375200 187 HILLCREST CIR 1.000 S-P 5/8 1/01/2007 4/06/2007  ON
Serial: 67640920 MANUAL 1/01/2007

WATER 67640942 15-375300 179 HILLCREST CIR 1.000 S-P 5/8 1/01/2007 4/06/2007  ON
Serial: 67640942 MANUAL 1/01/2007

WATER 67640941 15-375400 171 HILLCREST CR 1.000 S-P 5/8 1/01/2007 4/06/2007  ON
Serial: 67640941 MANUAL 1/01/2007

WATER 72853864 15-375401 122 GLENWOOD DR 1.000 s 5/8" 4/07/2011  ON
Serial: 72853864 MANUAL

WATER 90301587 15-375402 130 GLENWOOD DR 1.000 S 5/8" 9/16/2024  ON
Serial: 90301587 MANUAL

WATER 73987892 15-375403 142 GLENWOOD DR 1.000 s 5/8" 2/09/2012  ON
Serial: 73987892 MANUAL

WATER 73987880 15-375404 150 GLENWOOD DR 1.000 S 5/8" 2/09/2012  ON
Serial: 73987880 MANUAL

WATER 73987896 15-375405 158 GLENWOOD DR 1.000 S 5/8" 2/15/2012  ON
Serial: 73987896 MANUAL

WATER 73681778 15-375439 160 GLENWOOD DR 1.000 S 5/8" 6/28/2012  ON
Serial: 73681778 MANUAL

WATER 73987884 15-375440 161 GLENWOOD DR 1.000 s 5/8" 2/15/2012  ON
Serial: 73987884 MANUAL

WATER 73987897 15-375441 157 GLENWOOD DR 1.000 s 5/8" 2/15/2012  ON
Serial: 73987897 MANUAL

WATER 73987881 15-375442 151 GLENWOOD DR 1.000 s 5/8" 2/23/2012  ON
Serial: 73987881 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 38

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 15 - BOOK 15

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 743681775 15-375443 143 GLENWOOD DR 1.000 S 5/8" 5/30/2012 5/30/2012  ON
Serial: 73681775 MANUAL

WATER 73681793 15-375444 106 LANCASTER DR 1.000 s 5/8" 6/28/2012  ON
Serial: 73681793 MANUAL

WATER 90301528 15-375445 114 LANCASTER DR 1.000 S 5/8" 5/30/2022  ON
Serial: 90301528 MANUAL

WATER 100933514 15-375446 128 LANCASTER DR 1.000 S-IPRL  5/8" 10/31/2025  ON
Serial: 100933514 MANUAL

WATER 70171519 15-375447 134 LANCASTER DR 1.000 S-P 5/8 1/01/2009 4/13/2009  ON
Serial: 70171519 MANUAL 1/01/2009

WATER 73987879 15-375448 144 LANCASTER DR 1.000 s 5/8" 7/09/2012  ON
Serial: 73987879 MANUAL

WATER 67640944 15-375449 160 LANCASTER DR 1.000 S-P 5/8 1/01/2007 4/06/2007  ON
Serial: 67640944 MANUAL 1/01/2007

WATER 100933437 15-375450 166 LANCASTER DR 1.000 S-IPRL  5/8" 10/31/2025  ON
Serial: 100933437 MANUAL

WATER 67640946 15-375480 167 LANCASTER DR 1.000 S-P 5/8 1/01/2007 4/06/2007  ON
Serial: 67640946 MANUAL 1/01/2007

WATER 73681833 15-375481 165 LANCASTER DR 1.000 S 5/8" 6/28/2012  ON
Serial: 73681833 MANUAL

WATER 73681836 15-375482 159 LANCASTER DR 1.000 S 5/8" 6/28/2012  ON
Serial: 73681836 MANUAL

WATER 73681838 15-375483 155 LANCASTER DR 1.000 S 5/8" 6/28/2012  ON
Serial: 73681838 MANUAL

WATER 100933433 15-375484 151 LANCASTER DR 1.000 S-IPRL 5/8" 10/31/2025  ON
Serial: 100933433 MANUAL

WATER 73681835 15-375485 143 LANCASTER DR 1.000 s 5/8" 6/28/2012  ON
Serial: 73681835 MANUAL

WATER 96688969 15-375486 139 LANCASTER DR 1.000 S-IPRL  5/8" 3/10/2025  ON
Serial: 96688969 MANUAL

WATER 96688942 15-375487 133 LANCASTER DR 1.000 S-IPRL  5/8" 1/16/2025  ON
Serial: 96688942 MANUAL

WATER 67640943 15-375488 121 LANCASTER DR 1.000 S-P 5/8 1/01/2007 4/06/2007  ON
Serial: 67640943 MANUAL 1/01/2007

WATER 73681773 15-375489 113 LANCASTER DR 1.000 S 5/8" 6/28/2012  ON
Serial: 73681773 MANUAL

WATER 67640955 15-375490 105 LANCASTER DR 1.000 S-P 5/8 1/01/2007 4/12/2007  ON
Serial: 67640955 MANUAL 1/01/2007

WATER 82386506 15-375500 109 GLENWOOD DR 1.000 S 5/8" 10/31/2017  ON
Serial: 82386506 MANUAL

WATER 59295621 15-375600 149 HILLCREST CIR 1.000 R-P 5/8 1/01/2002 2/15/2002  ON
Serial: 59295621 MANUAL 1/01/2002

WATER 64642926 15-375700 147 HILLCREST CR 1.000 S-P 5/8 1/01/2006 2/22/2006  ON
Serial: 64642926 MANUAL 1/01/2006

WATER 67640927 15-375800 139 HILLCREST CIR 1.000 S-P 5/8 1/01/2007 4/12/2007  ON
Serial: 67640927 MANUAL 1/01/2007

WATER 82386836 15-375900 127 HILLCREST CIR 1.000 S 5/8" 6/02/2017  ON

Serial: 82386836 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 39

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 15 - BOOK 15

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 70171522 15-375905 123 HILLCREST CIR 100 1.000 R-P 5/8 1/01/2009 3/27/2009  ON
Serial: 70171522 MANUAL 1/01/2009
WATER 70171601 15-375906 123 HILLCREST CR 102 1.000 R-P 5/8 1/01/2009 3/27/2009  ON
Serial: 70171601 MANUAL 1/01/2009
WATER 54773351 15-375907 117 HILLCREST CR 104 1.000 R-P 5/8 1/01/1999 0/00/2000  ON
Serial: 54773351 MANUAL 1/01/1999
WATER 70171429 15-376000 327 DIXIE AIRPORT RD 1.000 R-P 1/01/2009 3/30/2009  ON
Serial: 70171429 MANUAL 1/01/2009
WATER 70171426 15-376100 319 DIXIE AIRPORT RD 1.000 R-P 5/8 1/01/2009 3/30/2009  ON
Serial: 70171426 MANUAL 1/01/2009
WATER 67640923 15-376200 313 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2007 4/12/2007  ON
Serial: 67640923 MANUAL 1/01/2007
WATER 73681776 15-376300 299 DIXIE AIRPORT RD 1.000 S 5/8" 6/28/2012  ON
Serial: 73681776 MANUAL
WATER 71032024 15-376400 293 DIXIE AIRPORT RD 1.000 R-P 5/8 1/01/2010 3/26/2010  ON
Serial: 71032024 MANUAL 1/01/2010
WATER 70171436 15-376500 285 DIXIE AIRPORT RD 1.000 R-P 1 1/01/2009 3/27/2009  ON
Serial: 70171436 MANUAL 1/01/2009
WATER 70171432 15-376600 277 DIXIE AIRPORT RD 1.000 R-P 5/8 1/01/2009 3/27/2009  ON
Serial: 70171432 MANUAL 1/01/2009
WATER 80003407 15-376700 265 DIXIE AIRPORT RD 1.000 S 5/8" 10/26/2016 10/26/2016  ON
Serial: 80003407 MANUAL
WATER 67640924 15-376800 257 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2007 4/13/2007  ON
Serial: 67640924 MANUAL 1/01/2007
WATER 67640957 15-376900 251 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2007 4/13/2007  ON
Serial: 67640957 MANUAL 1/01/2007
WATER 82386899 15-377000 241 DIXIE AIRPORT RD 1.000 s 5/8" 6/19/2017  ON
Serial: 82386899 MANUAL
WATER 67640953 15-377100 233 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2007 4/13/2007  ON
Serial: 67640953 MANUAL 1/01/2007
WATER 67640926 15-377600 152 WATTS ST 1.000 S-P 5/8 1/01/2007 4/13/2007  ON
Serial: 67640926 MANUAL 1/01/2007
WATER 82386895 15-377700 154 WATTS ST 1.000 S 5/8" 6/19/2017  ON
Serial: 82386895 MANUAL
WATER 67640954 15-377800 160 WATTS ST 1.000 S-P 5/8 1/01/2007 4/13/2007  ON
Serial: 67640954 MANUAL 1/01/2007
WATER 90301639 15-378150 209 DIXIE AIRPORT RD 1.000 S 5/8" 2/03/2023  ON
Serial: 90301639 MANUAL
WATER 82386898 15-378200 205 DIXIE AIRPORT RD 1.000 s 5/8" 6/19/2017  OFF
Serial: 82386898 1.000 MANUAL
WATER 67640958 15-378500 173 DIXIE AIRPORT RD 1.000 S-P 1/01/2007 4/18/2007  ON
Serial: 67640958 MANUAL 1/01/2007
WATER 82386894 15-378600 161 DIXIE AIRPORT RD 1.000 S 5/8" 6/19/2017  ON
Serial: 82386894 MANUAL
WATER 71032021 15-378700 151 DIXIE AIRPORT RD 1.000 R-P 5/8 1/01/2010 3/26/2010  ON
Serial: 71032021 MANUAL 1/01/2010
WATER 72853876 15-378800 145 DIXIE AIRPORT RD 1.000 S 5/8" 8/07/2013  ON

Serial: 72853876 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 40

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 15 - BOOK 15

————— SERVICE ADDRESS ------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 67640928 15-379200 3739 S AMHERST HWY 1.000 s-P 1/01/2007 4/18/2007 ON
Serial: 67640928 MANUAL 1/01/2007
WATER 71458541 15-379300 3723 S AMHERST HWY 1.000 R-P 1/01/2010 3/26/2010 ON

Serial: 71458541 MANUAL 1/01/2010





2/11/2026 12:43 PM METER REPORT PAGE : 41

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 16 - BOOK 16

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 71458474 16-379501 104 ROYAL GARDENS CT 1.000 S 5/8" 3/18/2011 3/18/2011  ON
Serial: 71458474 MANUAL
WATER 51182279 16-379502 103 ROYAL GARDENS CT 1.000 R-P 5/8 1/01/1996 0/00/2000  ON
Serial: 51182279 MANUAL 1/01/1996
WATER 71458477 16-379503 102 ROYAL GARDENS CT 1.000 S 5/8" 3/18/2011 3/18/2011  ON
Serial: 71458477 MANUAL
WATER 70171526 16-379504 101 ROYAL GARDENS CT 1.000 R-P 5/8 1/01/2009 3/27/2009  ON
Serial: 70171526 MANUAL 1/01/2009
WATER 71458465 16-379505 201 ROYAL GARDENS CT 1.000 S 5/8" 3/18/2011 3/18/2011  ON
Serial: 71458465 MANUAL
WATER 71458475 16-379506 202 ROYAL GARDENS CT 1.000 S 5/8" 3/18/2011 3/18/2011  ON
Serial: 71458475 MANUAL
WATER 71458476 16-379507 203 ROYAL GARDENS CT 1.000 S 5/8" 3/18/2011 3/22/2011  ON
Serial: 71458476 MANUAL
WATER 71458543 16-379508 204 ROYAL GARDENS CT 1.000 R-P 5/8 1/01/2010 9/01/2010  ON
Serial: 71458543 MANUAL 1/01/2010
WATER 70171435 16-379509 304 ROYAL GARDENS CT 1.000 R-P 5/8 1/01/2009 3/27/2009  ON
Serial: 70171435 MANUAL 1/01/2009
WATER 70171521 16-379510 303 ROYAL GARDENS CT 1.000 R-P 5/8 1/01/2009 3/27/2009  ON
Serial: 70171521 MANUAL 1/01/2009
WATER 70171200 16-379511 302 ROYAL GARDENS CT 1.000 S-P 5/8 1/01/2009 2/23/2009  ON
Serial: 70171200 MANUAL 1/01/2009
WATER 70171308 16-379512 301 ROYAL GARDENS CT 1.000 S-P 5/8 1/01/2009 2/23/2009  ON
Serial: 70171308 MANUAL 1/01/2009
WATER 64643063 16-379513 601 ROYAL GARDENS CT 1.000 S-P 5/8 1/01/2006 2/22/2006  ON
Serial: 64643063 MANUAL 1/01/2006
WATER 64642927 16-379514 602 ROYAL GARDENS CT 1.000 S-P 5/8 1/01/2006 2/22/2006  ON
Serial: 64642927 MANUAL 1/01/2006
WATER 67640956 16-379515 603 ROYAL GARDENS CT 1.000 R-P 5/8 1/01/2007 4/18/2007  ON
Serial: 67640956 MANUAL 1/01/2007
WATER 67640925 16-379516 604 ROYAL GARDENS CT 1.000 S-P 5/8 1/01/2007 4/18/2007  ON
Serial: 67640925 MANUAL 1/01/2007
WATER 67641488 16-379517 701 ROYAL GARDENS CT 1.000 S-P 1/01/2007 4/18/2007  ON
Serial: 67641488 MANUAL 1/01/2007
WATER 68692001 16-379518 702 ROYAL GARDENS CT 1.000 S-P 1/01/2008 1/16/2008  ON
Serial: 68692001 MANUAL 1/01/2008
WATER 68691998 16-379519 703 ROYAL GARDENS CT 1.000 S-P 5/8 1/01/2008 1/16/2008  ON
Serial: 68691998 MANUAL 1/01/2008
WATER 67644192 16-379520 704 ROYAL GARDENS CT 1.000 S-P 1/01/2007 4/18/2007  ON
Serial: 67641492 MANUAL 1/01/2007
WATER 70171202 16-379521 801 ROYAL GARDENS CT 1.000 S-P 5/8 1/01/2009 2/23/2009  ON
Serial: 70171202 MANUAL 1/01/2009
WATER 70171157 16-379522 802 ROYAL GARDENS CT 1.000 S-P 1/01/2009 9/22/2009  ON
Serial: 70171157 MANUAL 1/01/2009
WATER 70171188 16-379523 803 ROYAL GARDENS CT 1.000 S-P 5/8 1/01/2009 2/23/2009  ON
Serial: 70171188 MANUAL 1/01/2009
WATER 70171199 16-379524 804 ROYAL GARDENS CT 1.000 S-P 5/8 1/01/2009 2/23/2009  ON

Serial: 70171199 MANUAL 1/01/2009





2/11/2026 12:43 PM METER REPORT PAGE : 42
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 16 - BOOK 16
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 71458540 16-379525 901 ROYAL GARDENS CT 1.000 s-P 1/01/2010 4/01/2010  ON
Serial: 71458540 MANUAL 1/01/2010
WATER 71458544 16-379526 902 ROYAL GARDENS CT 1.000 R-P 5/8 1/01/2010 3/26/2010  ON
Serial: 71458544 MANUAL 1/01/2010
WATER 71458542 16-379527 903 ROYAL GARDENS CT 1.000 R-P 5/8 1/01/2010 3/26/2010  ON
Serial: 71458542 MANUAL 1/01/2010
WATER 71458545 16-379528 904 ROYAL GARDENS CT 1.000 R-P 5/8 1/01/2010 3/26/2010  ON
Serial: 71458545 MANUAL 1/01/2010
WATER 70171571 16-379529 1006 ROYAL GARDENS CT 1.000 S-P 5/8 1/01/2009 2/23/2009  ON
Serial: 70171571 MANUAL 1/01/2009
WATER 70171572 16-379530 1005 ROYAL GARDENS CT 1.000 S-P 5/8 1/01/2009 2/23/2009  ON
Serial: 70171572 MANUAL 1/01/2009
WATER 70171562 16-379531 1004 ROYAL GARDENS CT 1.000 S-P 5/8 1/01/2009 2/23/2009  ON
Serial: 70171562 MANUAL 1/01/2009
WATER 70171559 16-379532 1003 ROYAL GARDENS CT 1.000 S-P 5/8 1/01/2009 2/23/2009  ON
Serial: 70171559 MANUAL 1/01/2009
WATER 70171155 16-379533 1002 ROYAL GARDENS CT 1.000 S-P 5/8 1/01/2009 9/22/2009  ON
Serial: 70171155 MANUAL 1/01/2009
WATER 70171198 16-379534 1001 ROYAL GARDENS CT 1.000 S-P 5/8 1/01/2009 2/23/2009  ON
Serial: 70171198 MANUAL 1/01/2009
WATER 84008027 16-379535 501 ROYAL GARDENS CT 1.000 s 5/8" 2/08/2018  ON
Serial: 84008027 MANUAL

WATER 64642928 16-379536 502 ROYAL GARDENS CT 1.000 S-P 5/8 1/01/2006 2/22/2006  ON
Serial: 64642928 MANUAL 1/01/2006

WATER 67641497 16-379537 503 ROYAL GARDENS CT 1.000 S-P 5/8 1/01/2007 4/18/2007  ON
Serial: 67641497 MANUAL 1/01/2007

WATER 64642936 16-379538 504 ROYAL GARDENS CT 1.000 S-P 5/8 1/01/2006 2/22/2006  ON
Serial: 64642936 MANUAL 1/01/2006

WATER 64642929 16-379539 505 ROYAL GARDENS CT 1.000 S-P 5/8 1/01/2006 2/22/2006  ON
Serial: 64642929 MANUAL 1/01/2006

WATER 88240053 16-379540 506 ROYAL GARDENS CT 1.000 S 5/8" 6/09/2020  ON
Serial: 88240053 MANUAL

WATER 67641491 16-379541 404 ROYAL GARDENS CT 1.000 S-P 5/8 1/01/2007 4/18/2007  ON
Serial: 67641491 MANUAL 1/01/2007

WATER 67641498 16-379542 403 ROYAL GARDENS CT 1.000 S-P 5/8 1/01/2007 4/18/2007  ON
Serial: 67641498 MANUAL 1/01/2007

WATER 67641490 16-379543 402 ROYAL GARDENS CT 1.000 S-P 5/8 1/01/2007 4/18/2007  ON
Serial: 67641490 MANUAL 1/01/2007

WATER 67641495 16-379544 401 ROYAL GARDENS CT 1.000 S-P 5/8 1/01/2007 4/18/2007  ON
Serial: 67641495 MANUAL 1/01/2007

WATER 80003007 16-379605 146 EASTVAIL DR 1.000 S 5/8" 10/27/2016 10/27/2016  ON
Serial: 80003007 MANUAL

WATER 80003006 16-379606 144 EASTVAIL DR 1.000 S 5/8" 10/27/2016 10/27/2016  ON
Serial: 80003006 MANUAL

WATER 80003062 16-379607 142 EASTVAIL DR 1.000 S 5/8" 10/26/2016 10/27/2016  ON
Serial: 80003062 MANUAL

WATER 80003064 16-379608 140 EASTVAIL DR 1.000 S 5/8" 10/27/2016 10/27/2016  ON
Serial: 80003064 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 43
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT

DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes

DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999

BOOK: 16 - BOOK 16
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER
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WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

80003063
80003063
96688940
96688940
80003067
80003067
80003066
80003066
88240051
88240051
88240054
88240054
88240049
88240049
88240050
88240050
68692000
68692000
80003405
80003405
73987945
73987945
80003319
80003319
80003433
80003433
80003432
80003432
67641496
67641496
58575751
58575751
88240016
88240016
88240018
88240018
88240017
88240017
88240052
88240052
68692003
68692003
68692086
68692086
68692083
68692083
68692085
68692085

16-379610

16-379611

16-379612

16-379613

16-379620

16-379621

16-379622

16-379623

16-379625

16-379626

16-379627

16-379628

16-379630

16-379631

16-379632

16-379633

16-379635

16-379636

16-379637

16-379638

16-379640
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16-379642
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EASTVAIL DR

EASTVAIL DR

EASTVAIL DR

EASTVAIL DR

SOUTHVAIL DR

SOUTHVAIL DR

SOUTHVAIL DR

SOUTHVAIL DR

NORTHVAIL DR
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NORTHVAIL DR
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SOUTHVAIL DR
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SOUTHVAIL DR

SOUTHVAIL DR

WESTVAIL CT

WESTVAIL CT

WESTVAIL CT

WESTVAIL CT

MANUAL
S
MANUAL

MANUAL

MANUAL

MANUAL
S
MANUAL
S
MANUAL
S
MANUAL
S-P
MANUAL

MANUAL

MANUAL
S
MANUAL
S
MANUAL
S
MANUAL
S-P
MANUAL
R-P
MANUAL

MANUAL
S
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S
MANUAL
S
MANUAL
S-P
MANUAL
S-P
MANUAL
S-P
MANUAL
S-P
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5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"
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10/27/2016
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1/01/2008
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1/01/2005
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1/01/2008

1/01/2008
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1/01/2008

7/02/2021

5/13/2014

12/01/2016

12/01/2016

12/01/2016
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1/01/2007

1/01/2006

1/01/2005
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6/09/2020

6/09/2020

6/09/2020

1/16/2008

1/01/2008

1/16/2008

1/01/2008

1/16/2008

1/01/2008

1/16/2008
1/01/2008
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ON

ON
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ON

ON

ON

ON

ON

ON

ON

ON
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ON
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ON
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ON
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ON
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2/11/2026 12:43 PM METER REPORT PAGE : 44

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 16 - BOOK 16

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 67641569 16-379645 129 WESTVAIL CT 1.000 S-P 5/8 1/01/2007 4/19/2007  ON
Serial: 67641569 MANUAL 1/01/2007

WATER 67641494 16-379646 127 WESTVAIL CT 1.000 S-P 5/8 1/01/2007 4/19/2007  ON
Serial: 67641494 MANUAL 1/01/2007

WATER 67641570 16-379647 125 WESTVAIL CT 1.000 S-P 5/8 1/01/2007 4/19/2007  ON
Serial: 67641570 MANUAL 1/01/2007

WATER 67641568 16-379648 123 WESTVAIL CT 1.000 S-P 5/8 1/01/2007 4/19/2007  ON
Serial: 67641568 MANUAL 1/01/2007

WATER 67641487 16-379649 121 WESTVAIL CT 1.000 S-P 5/8 1/01/2007 4/19/2007  ON
Serial: 67641487 MANUAL 1/01/2007

WATER 67641566 16-379650 119 WESTVAIL CT 1.000 S-P 1/01/2007 4/19/2007  ON
Serial: 67641566 MANUAL 1/01/2007

WATER 80003431 16-379660 121 NORTHVAIL DR 1.000 S 5/8" 12/01/2016  ON
Serial: 97053 MANUAL

WATER 80003430 16-379661 119 NORTHVAIL DR 1.000 S 5/8" 12/01/2016  ON
Serial: 80003430 MANUAL

WATER 80003428 16-379662 117 NORTHVAIL DR 1.000 S 5/8" 12/01/2016  ON
Serial: 80003428 MANUAL

WATER 80003429 16-379663 115 NORTHVAIL DR 1.000 s 5/8" 12/01/2016  ON
Serial: 80003429 MANUAL

WATER 67641493 16-379800 3692 S AMHERST HWY 1.000 S-P 5/8 1/01/2007 4/19/2007  ON
Serial: 67641493 MANUAL 1/01/2007

WATER 75618578 16-379900 3694 S AMHERST HWY 1.000 s 5/8" 4/07/2015  ON
Serial: 75618578 MANUAL

WATER 88239879 16-380100 3708 S AMHERST HWY 1.000 S 5/8" 11/17/2020  ON
Serial: 88239879 MANUAL

WATER 56458026 16-380400 120 ANN ST 1.000 R-P 5/8 1/01/2001 7/11/2001  ON
Serial: 56458026 MANUAL 1/01/2001

WATER 67641565 16-380500 142 ANN ST 1.000 S-P 5/8 1/01/2007 4/19/2007  ON
Serial: 67641565 MANUAL 1/01/2007

WATER 80003003 16-380600 146 ANN ST 1.000 S 5/8" 12/01/2016 ON
Serial: 80003003 MANUAL

WATER 80003004 16-380700 152 ANN ST 1.000 s 5/8" 12/01/2016  ON
Serial: 80003004 MANUAL

WATER 67641567 16-380800 168 ANN ST 1.000 S-P 5/8 1/01/2007 4/20/2007  ON
Serial: 67641567 MANUAL 1/01/2007

WATER 80003317 16-380900 172 ANN ST 1.000 S 5/8" 12/01/2016  ON
Serial: 80003317 MANUAL

WATER 64642918 16-381000 189 ANN ST 1.000 S-P 5/8 1/01/2006 2/22/2006  ON
Serial: 64642918 MANUAL 1/01/2006

WATER 80003316 16-381100 190 ANN ST 1.000 S 5/8" 12/01/2016  ON
Serial: 80003316 MANUAL

WATER 80003318 16-381200 198 ANN ST 1.000 S 5/8" 12/01/2016 ON
Serial: 80003318 MANUAL

WATER 75618591 16-381300 206 ANN ST 1.000 s 5/8" 3/31/2015 ON
Serial: 75618591 MANUAL

WATER 80003399 16-381500 230 ANN ST 1.000 S 5/8" 12/01/2016 ON

Serial: 80003399 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 45
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 16 - BOOK 16
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 80002636 16-381600 203 ANN ST 1.000 S 5/8" 12/01/2016  ON
Serial: 80002636 MANUAL
WATER 80002637 16-381700 197 ANN ST 1.000 S 5/8" 12/07/2016  ON
Serial: 80002637 MANUAL
WATER 70171197 16-381900 177 ANN ST 1.000 S-P 5/8 1/01/2009 2/23/2009  ON
Serial: 70171197 MANUAL 1/01/2009
WATER 82386635 16-382000 169 ANN ST 1.000 S 5/8" 5/15/2017 ON
Serial: 82386635 MANUAL
WATER 80003401 16-382100 161 ANN ST 1.000 s 5/8" 12/01/2016  ON
Serial: 80003401 MANUAL
WATER 82386897 16-382200 145 ANN ST 1.000 S 5/8" 6/19/2017  ON
Serial: 82386897 MANUAL
WATER 67641563 16-382400 127 ANN ST 1.000 s-P 5/8 1/01/2007 4/20/2007  OFF
Serial: 67641563 MANUAL 1/01/2007
WATER 88239784 16-382500 123 ANN ST 1.000 S 5/8" 8/04/2020  ON
Serial: 88239784 MANUAL
WATER 73681736 16-382800 3742 S AMHERST HWY 1.000 S 5/8" 3/31/2023  ON
Serial: 73681736 MANUAL
WATER 82386896 16-385000 3806 S AMHERST HWY 1.000 S 5/8" 6/19/2017 ON
Serial: 82386896 MANUAL
WATER 64642941 16-385100 102 OAK GROVE DR 1.000 S-P 5/8 1/01/2006 2/22/2006  ON
Serial: 64642941 MANUAL 1/01/2006
WATER 67641560 16-385200 138 OAK GROVE DR 1.000 S-P 5/8 1/01/2007 4/20/2007  ON
Serial: 67641560 MANUAL 1/01/2007
WATER 90301613 16-385209 148 OAK GROVE DR 1.000 S 5/8" 5/15/2024  ON
Serial: 90301613 MANUAL
WATER 90301614 16-385211 150 OAK GROVE DR 1.000 S 5/8" 5/15/2024  ON
Serial: 90301614 MANUAL
WATER 80002639 16-385300 154 OAK GROVE DR 1.000 S 5/8" 12/01/2016  ON
Serial: 80002639 MANUAL
WATER 71458585 16-385400 160 OAK GROVE DR 1.000 R-P 5/8 1/01/2010 3/26/2010  ON
Serial: 71458585 MANUAL 1/01/2010
WATER 82386488 16-385500 162 OAK GROVE DR 1.000 S 5/8" 6/19/2017  ON
Serial: 82386488 MANUAL
WATER 82386487 16-385600 170 OAK GROVE DR 1.000 S 5/8" 6/19/2017  ON
Serial: 82386487 MANUAL
WATER 82386486 16-385700 184 OAK GROVE DR 1.000 S 5/8" 6/19/2017  ON
Serial: 82386486 MANUAL
WATER 73987785 16-385900 204 OARK GROVE DR 1.000 S 5/8" 10/03/2013  ON
Serial: 73987785 MANUAL
WATER 80002640 16-386000 210 OAK GROVE DR FRONT L 1.000 S 5/8" 12/01/2016  ON
Serial: 80002640 MANUAL
WATER 73987786 16-386100 240 OAK GROVE DR 1.000 s 5/8" 10/03/2013  ON
Serial: 73987786 MANUAL
WATER 70171414 16-386300 248 OAK GROVE DR 1.000 S-P 5/8 1/01/2009 2/24/2009  ON
Serial: 70171414 MANUAL 1/01/2009
WATER 70171463 16-386500 252 OAK GROVE DR 1.000 S-P 5/8 1/01/2009 2/24/2009  ON
Serial: 70171463 MANUAL 1/01/2009





2/11/2026 12:43 PM

DT PURCHSED:
DT INSTALL:
DT REPAIR:
DT TESTED:
BOOK:

0/00/0000 TO 99/99/9999
1/01/1900 TO 2/11/2026
0/00/0000 TO 99/99/9999
0/00/0000 TO 99/99/9999
16 - BOOK 16

- METER GROUP - METER NO# ACCOUNT NO#
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Serial:
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METER REPORT PAGE :
SEQ :ACCOUNT
SIZE :All Sizes
MAKE :All Makes
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
--MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
258 OAK GROVE DR 1.000 s 5/8" 6/26/2017  ON
MANUAL
264 OAK GROVE DR 1.000 S 5/8" 6/21/2017  ON
MANUAL
270 OAK GROVE DR 1.000 S 5/8" 6/21/2017  ON
MANUAL
282 OAK GROVE DR 1.000 S-P 5/8 1/01/2007 4/20/2007  ON
MANUAL 1/01/2007
290 OAK GROVE DR 1.000 S 5/8" 10/03/2013  ON
MANUAL
296 OAK GROVE DR 1.000 S-P 5/8 1/01/2007 4/20/2007  ON
MANUAL 1/01/2007
300 OAK GROVE DR 1.000 S-P 5/8 1/01/2007 4/20/2007  ON
MANUAL 1/01/2007
118 ANDREWS DR 1.000 S-P 5/8 1/01/2007 4/20/2007  ON
MANUAL 1/01/2007
116 SHANNON DR 1.000 S 5/8" 10/13/2020  ON
MANUAL
142 SHANNON DR 1.000 S 5/8" 5/14/2024  ON
MANUAL
138 SHANNON DR 1.000 S 5/8" 12/06/2023  ON
MANUAL
143 SHANNON DR 1.000 S-P 1/01/2008 1/16/2008  ON
MANUAL 1/01/2008
137 SHANNON DR 1.000 s-P 5/8 1/01/2007 4/20/2007  ON
MANUAL 1/01/2007
130 ANDREWS DR 1.000 S-P 5/8 1/01/2007 4/20/2007  ON
MANUAL 1/01/2007
156 ANDREWS DR 1.000 S 5/8" 10/03/2013  ON
MANUAL
164 ANDREWS DR 1.000 S 5/8" 10/03/2013  ON
MANUAL
141 ANDREWS DR 1.000 S-P 5/8 1/01/2007 4/20/2007  ON
MANUAL 1/01/2007
129 ANDREWS DR 1.000 S-P 5/8 1/01/2007 4/24/2007  ON
MANUAL 1/01/2007
127 ANDREWS DR 1.000 s-P 5/8 1/01/2007 4/24/2007  ON
MANUAL 1/01/2007
314 OAK GROVE DR 1.000 S-P 1/01/2007 4/24/2007  ON
MANUAL 1/01/2007
324 ORK GROVE DR 1.000 S-P 5/8 1/01/2007 4/24/2007  ON
MANUAL 1/01/2007
330 OAK GROVE DR 1.000 S 5/8" 2/25/2014  ON
MANUAL
360 OAK GROVE DR 1.000 S-P 5/8 1/01/2009 2/24/2009  ON
MANUAL 1/01/2009
462 OAK GROVE DR 1.000 S 1 1/01/2008 9/02/2008  ON
MANUAL

Serial:

82386490 16-386600
82386490

82386845 16-386700
82386845

82386844 16-386800
82386844

67641559 16-386900
67641559

73987784 16-387000
73987784

67641562 16-387001
67641562

67641564 16-387005
67641564

67641561 16-387100
67641561

88239764 16-387500
88239764

90301611 16-387600
90301611

90301496 16-387700
90301496

68692082 16-387800
68692082

67641611 16-387900
67641611

67641607 16-388000
67641607

73987787 16-388100
73987787

73987789 16-388200
73987789

67641610 16-388300
67641610

67641587 16-389000
67641587

67641647 16-389100
67641647

67641648 16-389200
67641648

67641585 16-389300
67641585

73681722 16-389302
73681722

70171418 16-389310
70171418

68708207 16-389320
68708207





2/11/2026 12:43 PM METER REPORT PAGE : 47
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 16 - BOOK 16
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 68708206 16-389321 466 OAK GROVE DR 1.000 s 1 1/01/2008 9/02/2008  ON
Serial: 68708206 MANUAL
WATER 94814835 16-389325 514 OAK GROVE DR 1.000 S-IPRL  5/8" 6/09/2025  ON
Serial: 94814835 MANUAL
WATER 68691797 16-389386 445 OAK GROVE DR 1.000 S-P 5/8 1/01/2008 9/02/2008  ON
Serial: 68691797 MANUAL
WATER 71458532 16-389387 443 OAK GROVE DR 1.000 s 5/8" 11/18/2010  ON
Serial: 71458532 MANUAL
WATER 73681680 16-389389 431 OAK GROVE DR 1.000 S 5/8" 8/02/2013 ON
Serial: 73681680 MANUAL
WATER 73987788 16-389390 429 OAK GROVE DR 1.000 s 5/8" 10/03/2013  ON
Serial: 73987788 MANUAL
WATER 90301617 16-389391 419 OAK GROVE DR 1.000 S 5/8" 8/26/2024  ON
Serial: 90301617 MANUAL
WATER 84008072 16-389400 379 OAK GROVE DR 1.000 S 5/8" 2/22/2018  ON
Serial: 84008072 MANUAL
WATER 88239779 16-389401 359 OAK GROVE DR 1.000 S 5/8" 9/22/2020  ON
Serial: 88239779 MANUAL
WATER 70171416 16-389405 337 OAK GROVE DR 1.000 S-P 5/8 1/01/2009 2/24/2009  ON
Serial: 70171416 MANUAL 1/01/2009
WATER 90301595 16-389407 348 OAK GROVE DR 1.000 S 5/8" 6/13/2024  ON
Serial: 90301595 MANUAL
WATER 70171389 16-389410 335 OAK GROVE DR 1.000 S-P 5/8 1/01/2009 2/24/2009  ON
Serial: 70171389 MANUAL 1/01/2009
WATER 3338186  16-390100 219 OAK GROVE DR 1.000 S 5/8" 3/25/2025  ON
Serial: 3338186 TOUCH
WATER 67641586 16-390125 117 FIREFIGHTER LN 1.000 S-P 5/8 1/01/2007 4/24/2007  ON
Serial: 67641586 MANUAL 1/01/2007
WATER 67641646 16-390200 209 OAK GROVE DR 1.000 S-P 5/8 1/01/2007 4/24/2007  ON
Serial: 67641646 MANUAL 1/01/2007
WATER 67641588 16-390300 199 OAK GROVE DR 1.000 s-P 5/8 1/01/2007 4/24/2007  ON
Serial: 67641588 MANUAL 1/01/2007
WATER 82386840 16-390400 185 OAK GROVE DR 1.000 S 5/8" 6/21/2017  ON
Serial: 82386840 MANUAL
WATER 82386842 16-390500 175 OAK GROVE DR 1.000 S 5/8" 6/21/2017  ON
Serial: 82386842 MANUAL
WATER 82386843 16-390600 171 OAK GROVE DR 1.000 S 5/8" 6/21/2017  ON
Serial: 82386843 MANUAL
WATER 86011821 16-390900 111 OAK GROVE DR 1.000 S 5/8" 5/29/2019  ON
Serial: 86011821 MANUAL
WATER 84008099 16-391000 3860 S AMHERST HWY 1.000 S 5/8" 11/16/2023  ON
Serial: 000000000 MANUAL
WATER 88239892 16-391100 3916 S AMHERST HWY 1.000 S 5/8" 9/22/2020  ON
Serial: 88239892 MANUAL
WATER 68691922 16-391400 3926 S AMHERST HWY 1.000 S-P 5/8 1/01/2008 1/15/2008  ON
Serial: 68691922 MANUAL 1/01/2008
WATER 71458586 16-391600 3956 S AMHERST HWY 1.000 S-P 5/8 1/01/2010 3/26/2010  OFF
Serial: 71458586 MANUAL 1/01/2010





2/11/2026 12:43 PM METER REPORT PAGE : 48
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT

DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes

DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999

BOOK: 16 - BOOK 16
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

58883989
58883989
70171392
70171392
80002638
80002638
80002629
80002629
86002641
80002641
73681686
73681686
80002626
80002662
80002628
80002628
80002627
80002627
82386340
82386340
67641609
67641609
67641644
67641644
82386491
82386491
68692087
68692087
67641612
67641612
86011757
86011757
67641583
67641583
67641523
67641523
90301435
90301435
80003056
80003056
88239806
88239806
90301666
90301666
90301665
90301665
67641524
67641524

16-391900

16-392100

16-392200

16-392201

16-392202

16-392203

16-392204

16-392205

16-392206

16-392300

16-392400

16-392500

16-392600

16-392700

16-392900

16-393000

16-393100

16-393105

16-393200

16-393300

16-393320

16-393330

16-393340

16-393400

106

140

140

140

CLEARVIEW RD

CLEARVIEW RD

SHENANDOAH AVE 101 A

SHENANDOAH AVE B

SHENANDOAH AVE C

SHENANDOAH AVE D

SHENANDOAH DR 100 E

SHENANDOAH AVE F

SHENANDOAH AVE APT G

DODDS LN

DODDS LN

DODDS LN

CLEARVIEW RD

CLEARVIEW RD

SUNSET CIR

SUNSET CR

SUNSET CR

ORCHARD DR

ORCHARD DR

ORCHARD DR

ORCHARD DR

ORCHARD DR

ORCHARD DR

ORCHARD DR

MANUAL
S-P
MANUAL
S
MANUAL

MANUAL

MANUAL
S
MANUAL
S
MANUAL
S
MANUAL

MANUAL
S
MANUAL
S-P
MANUAL
S-P
MANUAL
S
MANUAL
S-P
MANUAL
S-P
MANUAL
S
MANUAL
S-P
MANUAL
S-P
MANUAL
S
MANUAL
S
MANUAL

MANUAL

MANUAL
S
MANUAL
S-P
MANUAL

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

1/01/2002

1/01/2009

12/07/2016

12/07/2016

12/07/2016

12/07/2016

1/01/2007

1/01/2007

1/01/2008

1/01/2007

1/01/2008

1/01/2007

1/01/2007

2/25/2002
1/01/2002
2/24/2009
1/01/2009
12/07/2016

12/07/2016

12/07/2016

7/12/2013

12/07/2016

12/07/2016

12/07/2016

6/22/2017

4/25/2007

1/01/2007

4/25/2007

1/01/2007

6/22/2017

1/25/2008

1/01/2008

4/25/2007

1/01/2007

5/15/2019

2/28/2008

1/01/2008

4/25/2007

1/01/2007

3/06/2024

12/18/2017

6/09/2021

8/04/2021

8/04/2021

4/25/2007
1/01/2007

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON





2/11/2026 12:43 PM METER REPORT PAGE : 49
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT

DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes

DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999

BOOK: 16 - BOOK 16
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

67641527
67641527
67641526
67641526
67641528
67641528
70171464
70171464
88239789
88239789
60181476
60181476
70171461
70171461
70171465
70171465
84007963
84007963
70171393
70171393
70171391
70171391
82386337
82386337
70171466
70171466
67641602
67641602
67641525
67641525
67641604
67641604
70171390
70171390
73987860
73987860
67641470
67641470
67641603
67641603
54578799
54578799
75618596
75618596
70171201
70171201
73987989
73987989

16-393500

16-393600

16-393700

16-393800

16-393900

16-393950

16-394000

16-394100

16-394200

16-394500

16-394600

16-394700

16-395700

16-395900

16-396002

16-396003

16-396004

16-396006

16-396007

16-396100

16-410000

16-410100

16-410400

16-410500

182

210

ORCHARD DR

ORCHARD DR

ORCHARD DR

ORCHARD DR

ORCHARD DR

ORCHARD DR

ORCHARD DR

ORCHARD DR

ORCHARD DR

ORCHARD DR

ORCHARD DR

ORCHARD DR

SUNSET CR

SUNSET CR

SUNSET CR

SUNSET CR

SUNSET CR

SUNSET CIR

SUNSET CR

CLEARVIEW RD

WINESAP RD

WINESAP RD

WINESAP RD

WINESAP RD

S-P
MANUAL
S-P
MANUAL
S-P
MANUAL
S-P
MANUAL
S
MANUAL
S-P
MANUAL
S-P
MANUAL
S-P
MANUAL
S
MANUAL
S-P
MANUAL
S-P
MANUAL
S
MANUAL
S-P
MANUAL
S-P
MANUAL
S-P
MANUAL
S-P
MANUAL
S-P
MANUAL
S
MANUAL
S-P
MANUAL
S-P
MANUAL
R-P
MANUAL
S
MANUAL
S-P
MANUAL
S
MANUAL

5/8"

1/01/2007

1/01/2007

1/01/2007

1/01/2009

1/01/2003

1/01/2009

1/01/2009

1/01/2009

1/01/2009

1/01/2009

1/01/2007

1/01/2007

1/01/2007

1/01/2009

1/01/2007

1/01/2007

1/01/2000

1/01/2009

4/25/2007
1/01/2007
4/25/2007
1/01/2007
4/25/2007
1/01/2007
2/24/2009
1/01/2009
9/22/2020

0/00/2000

2/24/2009
1/01/2009
2/24/2009
1/01/2009
4/12/2018

2/24/2009
1/01/2009
2/24/2009
1/01/2009
6/22/2017

2/24/2009
1/01/2009
4/26/2007
1/01/2007
4/26/2007
1/01/2007
4/26/2007
1/01/2007
2/24/2009
1/01/2009
7/23/2012

4/26/2007
1/01/2007
4/26/2007
1/01/2007
5/26/2000
1/01/2000
3/31/2015

2/23/2009
1/01/2009
8/08/2013

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON





2/11/2026 12:43 PM METER REPORT PAGE : 50

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 16 - BOOK 16

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 70171637 16-410700 248 WINESAP RD 1.000 S-P 5/8 1/01/2009 9/24/2009  ON
Serial: 70171637 MANUAL 1/01/2009

WATER 82386336 16-410800 230 WINESAP RD 1.000 S 5/8" 6/22/2017  ON
Serial: 82386336 MANUAL

WATER 75618589 16-411000 246 WINESAP RD 1.000 S 5/8" 3/31/2015  ON
Serial: 75618589 MANUAL

WATER 84008085 16-411005 244 WINESAP RD 1.000 s 5/8" 4/12/2018  ON
Serial: 84008085 MANUAL

WATER 82386339 16-411100 254 WINESAP RD 1.000 S 5/8" 6/22/2017  ON
Serial: 82386339 MANUAL

WATER 80002624 16-411200 266 WINESAP RD 1.000 S 5/8" 12/07/2016 12/07/2016  ON
Serial: 80002624 MANUAL

WATER 84008095 16-411300 268 WINESAP RD 1.000 S 5/8" 4/03/2018  ON
Serial: 84008095 MANUAL

WATER 90301519 16-411887 330 WINESAP RD 1.000 S 5/8" 6/22/2022  ON
Serial: 90301519 MANUAL

WATER 88239776 16-411888 336 WINESAP RD 1.000 S 5/8" 2/15/2022  ON
Serial: 88239776 MANUAL

WATER 88239781 16-411889 344 WINESAP RD 1.000 S 5/8" 8/10/2020  ON
Serial: 88239781 MANUAL

WATER 88239694 16-411890 352 WINESAP RD 1.000 S 5/8" 5/26/2020  ON
Serial: 88239694 MANUAL

WATER 84007919 16-411900 354 WINESAP RD 1.000 s 5/8" 11/25/2019  ON
Serial: 84007919 MANUAL

WATER 82386321 16-412000 370 WINESAP RD 1.000 S 5/8" 6/22/2017  ON
Serial: 82386321 MANUAL

WATER 82386670 16-412200 104 MOUNTAINVIEW DR 1.000 S 5/8" 6/22/2017  ON
Serial: 82386670 MANUAL

WATER 64642939 16-412300 112 MOUNTAINVIEW DR 1.000 S-P 5/8 1/01/2006 2/22/2006  ON
Serial: 64642939 MANUAL 1/01/2006

WATER 80002677 16-412400 122 MOUNTAINVIEW DR 1.000 S 5/8" 12/07/2016 12/07/2016  ON
Serial: 80002677 MANUAL

WATER 84008087 16-412500 128 MOUNTAINVIEW DR 1.000 s 5/8" 4/12/2018  ON
Serial: 84008087 MANUAL

WATER 82386666 16-412601 138 WEST BRIAR PL 1.000 S 5/8" 6/22/2017  ON
Serial: 82386666 MANUAL

WATER 70171310 16-412602 146 WEST BRIAR PL 1.000 S-P 5/8 1/01/2009 2/23/2009  ON
Serial: 70171310 MANUAL 1/01/2009

WATER 67641472 16-412603 152 WEST BRIAR PL 1.000 S-P 5/8 1/01/2007 4/26/2007  ON
Serial: 67641472 MANUAL 1/01/2007

WATER 67641606 16-412604 158 WEST BRIAR PL 1.000 S-P 5/8 1/01/2007 4/26/2007  ON
Serial: 67641606 MANUAL 1/01/2007

WATER 67641474 16-412605 160 WEST BRIAR PL 1.000 S-P 5/8 1/01/2007 4/26/2007  ON
Serial: 67641474 MANUAL 1/01/2007

WATER 67641601 16-412606 164 WEST BRIAR PL 1.000 S-P 5/8 1/01/2007 4/26/2007  ON
Serial: 67641601 MANUAL 1/01/2007

WATER 67641469 16-412607 170 WEST BRIAR PL 1.000 S-P 5/8 1/01/2007 4/26/2007  ON

Serial: 67641469 MANUAL 1/01/2007





2/11/2026 12:43 PM METER REPORT PAGE : 51
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT

DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes

DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999

BOOK: 16 - BOOK 16
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

67641605
67641605
67641473
67641473
67641471
67641471
67641620
67641620
67641623
67641623
86011734
86011734
67641621
67641621
96688958
96688958
67641624
67641624
67641619
67641619
82386667
82386667
67641622
67641622
73987974
73987974
67641557
67641557
67641554
67641554
67641556
67641556
71458582
71458582
67641553
67641553
70171309
70171309
84008086
84008086
67641558
67641558
67641596
67641596
67641555
67641555
70171561
70171561

16-412608

16-412609

16-412610

16-412611

16-412612

16-412613

16-412614

16-412615

16-412616

16-412617

16-412618

16-412620

16-412625

16-412626

16-412627

16-412628

16-412629

16-412630

16-412631

16-412632

16-412633

16-412634

16-412635

16-412636

176

228

230

173

167

WEST BRIAR PL

WEST BRIAR PL

WEST BRIAR PL

WEST BRIAR PL

WEST BRIAR PL

WEST BRIAR PL

WEST BRIAR PL

WEST BRIAR PL

WEST BRIAR PL

WEST BRIAR PL

WEST BRIAR PL

WEST BRIAR PL

WEST BRIAR PL

WEST BRIAR PL

WEST BRIAR PL

WEST BRIAR PL

WEST BRIAR PL

WEST BRIAR PL

WEST BRIAR PL

WESTBRIAR PL

WEST BRIAR PL

WEST BRIAR PL

WEST BRIAR PL

WEST BRIAR PL

S-P
MANUAL
S-P
MANUAL
S-
MANUAL
S-P
MANUAL
S-P
MANUAL
S
MANUAL
S-P
MANUAL
S-IPRL
MANUAL
S-P
MANUAL
S-P
MANUAL
S
MANUAL
S-P
MANUAL
S
MANUAL
S-P
MANUAL
S-P
MANUAL
S-P
MANUAL
R-P
MANUAL
S-P
MANUAL
S-P
MANUAL
S
MANUAL
S-P
MANUAL
S-P
MANUAL
S-P
MANUAL
S-P
MANUAL

1/01/2007

1/01/2007

1/01/2007

1/01/2007

1/01/2007

9/10/2019

1/01/2007

1/01/2007

1/01/2007

1/01/2007

1/01/2007

1/01/2007

1/01/2007

1/01/2010

1/01/2007

1/01/2009

1/01/2007

1/01/2007

1/01/2007

1/01/2009

4/26/2007
1/01/2007
4/26/2007
1/01/2007
4/26/2007
1/01/2007
4/26/2007
1/01/2007
4/27/2007
1/01/2007
9/10/2019

4/27/2007
1/01/2007
3/10/2025

4/27/2007
1/01/2007
4/27/2007
1/01/2007
6/22/2017

4/27/2007
1/01/2007
8/08/2013

4/27/2007
1/01/2007
4/27/2007
1/01/2007
5/15/2007
1/01/2007
3/26/2010
1/01/2010
5/15/2007
1/01/2007
2/23/2009
1/01/2009
4/12/2018

5/17/2007
1/01/2007
5/15/2007
1/01/2007
5/15/2007
1/01/2007
2/23/2009
1/01/2009

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON





2/11/2026 12:43 PM

DT PURCHSED:
DT INSTALL:
DT REPAIR:
DT TESTED:
BOOK:

0/00/0000 TO 99/99/9999
1/01/1900 TO 2/11/2026
0/00/0000 TO 99/99/9999
0/00/0000 TO 99/99/9999
16 - BOOK 16

- METER GROUP - METER NO# ACCOUNT NO#

METER

————— SERVICE ADDRESS
---DMD MXU--- -DSCALE-

--MXU ID--

52

SIZE :All Sizes
MAKE :All Makes

Serial:

WATER

Serial:

67641530 16-412637

67641530

71458468 16-412639
71458468

67641600 16-412640
67641600

70171570 16-412641
70171570

149 WEST BRIAR PL

143 WEST BRIAR PL

129 WEST BRIAR PL

121 WEST BRIAR PL

ON

ON

ON

REPORT PAGE :
SEQ :ACCOUNT
-SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
--TYPE-- --PRICE-- --REPAIR DATE-- —--TESTED DATE-- STAT
1.000 s-P 5/8 1/01/2007 5/11/1950
MANUAL 1/01/2007
1.000 s 5/8" 7/23/2012
MANUAL
1.000 S-P 5/8 1/01/2007 5/15/2007
MANUAL 1/01/2007
1.000 S-P 5/8 1/01/2009 2/23/2009
MANUAL 1/01/2009





2/11/2026 12:43 PM METER REPORT PAGE : 53
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 17 - BOOK 17
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 90301802 17-412700 144 MOUNTAINVIEW DR 1.000 S 5/8" 9/03/2021  ON
Serial: 90301802 MANUAL
WATER 82386668 17-412800 154 MOUNTAINVIEW DR 1.000 s 5/8" 6/22/2017  ON
Serial: 82386668 MANUAL
WATER 82386669 17-412900 162 MOUNTAINVIEW DR 1.000 S 5/8" 6/22/2017  ON
Serial: 82386669 MANUAL
WATER 80002676 17-413000 172 MOUNTAINVIEW DR 1.000 S 5/8" 12/07/2016 12/07/2016  ON
Serial: 80002676 MANUAL
WATER 80002672 17-413100 182 MOUNTAINVIEW DR 1.000 S 5/8" 12/07/2016 12/07/2016  ON
Serial: 800026272 MANUAL
WATER 80003331 17-413200 192 MOUNTAINVIEW DR 1.000 S 5/8" 12/08/2016 12/08/2016  ON
Serial: 80003331 MANUAL
WATER 80003330 17-413300 200 MOUNTAINVIEW DR 1.000 S 5/8" 12/30/2016 12/08/2016  ON
Serial: 80003330 MANUAL
WATER 88239893 17-413400 208 MOUNTAINVIEW DR 1.000 s 5/8" 11/05/2020  ON
Serial: 88239893 MANUAL
WATER 70171558 17-413500 220 MOUNTAINVIEW DR 1.000 S-P 5/8 1/01/2009 2/23/2009  ON
Serial: 70171558 MANUAL 1/01/2009
WATER 90301450 17-413600 224 MOUNTAINVIEW DR 1.000 S 5/8" 3/16/2022  ON
Serial: 90301450 MANUAL
WATER 70171569 17-413700 240 MOUNTAINVIEW DR 1.000 S-P 5/8 1/01/2009 2/23/2009  ON
Serial: 70171569 MANUAL 1/01/2009
WATER 90301682 17-413800 250 MOUNTAINVIEW DR 1.000 s 5/8" 7/15/2021  ON
Serial: 90301682 MANUAL
WATER 82386263 17-413804 246 MOUNTAINVIEW DR 1.000 S 5/8" 6/22/2017  ON
Serial: 82386263 MANUAL
WATER 90301762 17-413805 258 MOUNTAINVIEW DR 1.000 s 5/8" 5/05/2022  ON
Serial: 90301762 MANUAL
WATER 73988013 17-413900 268 MOUNTAINVIEW DR 1.000 S 5/8" 10/03/2014 10/03/2014  ON
Serial: 73988013 MANUAL
WATER 82386690 17-414000 276 MOUNTAINVIEW DR 1.000 s 5/8" 7/31/2017  ON
Serial: 82386690 MANUAL
WATER 90301687 17-414100 284 MOUNTAINVIEW DR 1.000 s 5/8" 7/05/2023  ON
Serial: 90301687 MANUAL
WATER 82386634 17-414101 292 MOUNTAINVIEW DR 1.000 S 5/8" 5/15/2017 ON
Serial: 82386634 MANUAL
WATER 82386691 17-414200 302 MOUNTAINVIEW DR 1.000 S 5/8" 7/25/2017  ON
Serial: 82386691 MANUAL
WATER 88239820 17-414300 310 MOUNTAINVIEW DR 1.000 s 5/8" 7/06/2020  ON
Serial: 88239820 MANUAL
WATER 80003061 17-414400 314 MOUNTAINVIEW DR 1.000 S 5/8" 12/15/2016 12/13/2016  ON
Serial: 80003061 MANUAL
WATER 82386762 17-414500 322 MOUNTAINVIEW DR 1.000 S 5/8" 9/20/2017  ON
Serial: 82386762 MANUAL
WATER 84007993 17-414600 328 MOUNTAINVIEW DR 1.000 s 5/8" 1/31/2019  ON
Serial: 84007993 MANUAL
WATER 86011715 17-414700 332 MOUNTAINVIEW DR 1.000 s 5/8" 12/17/2019  ON
Serial: 86011715 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 54

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 17 - BOOK 17

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 70171573 17-415200 333 MOUNTAINVIEW DR 1.000 S-P 5/8 1/01/2009 2/23/2009  ON
Serial: 70171573 MANUAL 1/01/2009

WATER 80003087 17-415300 323 MOUNTAINVIEW DR 1.000 s 5/8" 2/10/2017  ON
Serial: 80003087 MANUAL

WATER 70171557 17-415303 128 CHESTERFIELD DR 1.000 S-P 5/8 1/01/2009 2/23/2009  ON
Serial: 70171557 MANUAL 1/01/2009

WATER 70171560 17-415304 136 CHESTERFIELD DR 1.000 S-P 5/8 1/01/2009 2/23/2009  ON
Serial: 70171560 MANUAL 1/01/2009

WATER 70171288 17-415305 144 CHESTERFIELD DR 1.000 S-P 5/8 1/01/2009 9/22/2009  ON
Serial: 70171288 MANUAL 1/01/2009

WATER 70171574 17-415306 148 CHESTERFIELD DR 1.000 S-P 5/8 1/01/2009 2/23/2009  ON
Serial: 70171574 MANUAL 1/01/2009

WATER 70171491 17-415307 106 WESTHAVEN DR 1.000 S-P 5/8 1/01/2009 2/24/2009  ON
Serial: 70171491 MANUAL 1/01/2009

WATER 80003329 17-415308 114 WESTHAVEN DR 1.000 S 5/8" 12/08/2016 12/08/2016  ON
Serial: 80003329 MANUAL

WATER 70171493 17-415309 132 WESTHAVEN DR 1.000 S-P 5/8 1/01/2009 2/24/2009  ON
Serial: 70171493 MANUAL 1/01/2009

WATER 70171492 17-415310 138 WESTHAVEN DR 1.000 S-P 5/8 1/01/2009 2/24/2009  ON
Serial: 70171492 MANUAL 1/01/2009

WATER 70171336 17-415311 146 WESTHAVEN DR 1.000 S-P 5/8 1/01/2009 5/21/2009  ON
Serial: 70171336 MANUAL 1/01/2009

WATER 73681703 17-415313 153 WESTHAVEN DR 1.000 s 5/8" 10/03/2013  ON
Serial: 73681703 MANUAL

WATER 70171149 17-415315 147 WESTHAVEN DR 1.000 s-P 1/01/2009 5/21/2009  ON
Serial: 70171149 MANUAL 1/01/2009

WATER 70171153 17-415316 139 WESTHAVEN DR 1.000 R-P 5/8 1/01/2009 5/21/2009  ON
Serial: 70171153 MANUAL 1/01/2009

WATER 70171537 17-415317 129 WESTHAVEN DR 1.000 R-P 5/8 1/01/2009 5/06/2009  ON
Serial: 70171537 MANUAL 1/01/2009

WATER 71458563 17-415318 113 WESTHAVEN DR 1.000 s 5/8" 7/29/2010  ON
Serial: 71458563 MANUAL

WATER 90301474 17-415319 107 WESTHAVEN DR 1.000 S 5/8" 9/01/2023  ON
Serial: 90301474 MANUAL

WATER 70171443 17-415400 315 MOUNTAINVIEW DR 1.000 S-P 5/8 1/01/2009 2/24/2009  ON
Serial: 70171443 MANUAL 1/01/2009

WATER 88240014 17-415500 305 MOUNTAINVIEW DR 1.000 S 5/8" 6/12/2020  ON
Serial: 88240014 MANUAL

WATER 80003328 17-415600 297 MOUNTAINVIEW DR 1.000 s 5/8" 12/08/2016 12/08/2016  ON
Serial: 80003328 MANUAL

WATER 90301478 17-415700 289 MOUNTAINVIEW DR 1.000 S 5/8" 7/10/2023  ON

MANUAL

WATER 66213925 17-416000 285 MOUNTAINVIEW DR 1.000 S-P 5/8 1/01/2006 2/21/2006  ON
Serial: 66213925 MANUAL 1/01/2006

WATER 75618747 17-416100 273 MOUNTAINVIEW DR 1.000 s 5/8" 11/13/2014  ON
Serial: 75618747 MANUAL

WATER 67641533 17-416200 269 MOUNTAINVIEW DR 1.000 S-P 5/8 1/01/2007 5/15/2007  ON

Serial: 67641533 MANUAL 1/01/2007





2/11/2026 12:43 PM METER REPORT PAGE : 55

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 17 - BOOK 17

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 75618743 17-416300 261 MOUNTAINVIEW DR 1.000 S 5/8" 11/13/2014  ON
Serial: 75618743 MANUAL

WATER 67641597 17-416305 255 MOUNTAINVIEW DR 1.000 S-P 5/8 1/01/2007 5/15/2007  ON
Serial: 67641597 MANUAL 1/01/2007

WATER 88239880 17-416400 243 MOUNTAINVIEW DR 1.000 S 5/8" 1/12/2021  ON
Serial: 88239880 MANUAL

WATER 90301622 17-416500 237 MOUNTAINVIEW DR 1.000 s 5/8" 1/12/2024  ON
Serial: 90301622 MANUAL

WATER 80003327 17-416510 231 MOUNTAINVIEW DR 1.000 S 5/8" 12/08/2016 12/08/2016  ON
Serial: 80003327 MANUAL

WATER 80003326 17-416600 223 MOUNTAINVIEW DR 1.000 S 5/8" 12/08/2016 12/30/2016  ON
Serial: 80003326 MANUAL

WATER 59295799 17-416700 217 MOUNTAINVIEW DR 1.000 R-P 5/8 1/01/2002 2/21/1922  ON
Serial: 59295799 MANUAL 1/01/2002

WATER 82386262 17-416800 209 MOUNTAINVIEW DR 1.000 S 5/8" 6/22/2017  ON
Serial: 82386262 MANUAL

WATER 75618590 17-416900 201 MOUNTAINVIEW DR 1.000 S 5/8" 3/31/2015  ON
Serial: 75618590 MANUAL

WATER 88239937 17-417000 197 MOUNTAINVIEW DR 1.000 S 5/8" 6/05/2020  ON
Serial: 88239937 MANUAL

WATER 70171495 17-417100 187 MOUNTAINVIEW DR 1.000 S-P 5/8 1/01/2009 2/24/2009  ON
Serial: 70171495 MANUAL 1/01/2009

WATER 71458584 17-417200 179 MOUNTAINVIEW DR 1.000 R-P 5/8 1/01/2010 3/26/2010  ON
Serial: 71458584 MANUAL 1/01/2010

WATER 80003403 17-417300 173 MOUNTAINVIEW DR 1.000 S 5/8" 12/08/2016 12/08/2016  ON
Serial: 80003403 MANUAL

WATER 88239897 17-417400 163 MOUNTAINVIEW DR 1.000 S 5/8" 11/05/2020  ON
Serial: 88239897 MANUAL

WATER 80003402 17-417500 155 MOUNTAINVIEW DR 1.000 S 5/8" 12/08/2016 12/08/2016  ON
Serial: 80003402 MANUAL

WATER 82386630 17-417505 137 MOUNTAINVIEW DR 1.000 S 5/8" 5/15/2017 ON
Serial: 82386630 MANUAL

WATER 82386259 17-417600 123 MOUNTAINVIEW DR 1.000 S 5/8" 6/22/2017  ON
Serial: 82386259 MANUAL

WATER 68692084 17-417610 107 MOUNTAINVIEW DR 1.000 S-P 5/8 1/01/2008 1/25/2008  ON
Serial: 68692084 MANUAL 1/01/2008

WATER 82386313 17-417615 406 WINESAP RD 1.000 S 5/8" 6/26/2017  ON
Serial: 82386313 MANUAL

WATER 82386280 17-417620 414 WINESAP RD 1.000 S 5/8" 6/26/2017  ON
Serial: 82386280 MANUAL

WATER 67641531 17-417625 424 WINESAP RD 1.000 S-P 5/8 1/01/2007 5/15/2007  ON
Serial: 67641531 MANUAL 1/01/2007

WATER 63056501 17-417628 430 WINESAP RD 1.000 S-P 5/8 1/01/2006 1/31/2006  ON
Serial: 63056501 MANUAL

WATER 67641595 17-417630 436 WINESAP RD 1.000 S-P 5/8 1/01/2007 5/15/2007  ON
Serial: 67641595 MANUAL 1/01/2007

WATER 71032083 17-417640 448 WINESAP RD 1.000 S-P 5/8 1/01/2010 3/09/2010 ON

Serial: 71032083 MANUAL 1/01/2010





2/11/2026 12:43 PM METER REPORT PAGE : 56

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 17 - BOOK 17

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 67641534 17-417645 464 WINESAP RD 1.000 S-P 5/8 1/01/2007 5/15/2007  ON
Serial: 67641534 MANUAL 1/01/2007

WATER 67641598 17-417650 472 WINESAP RD 1.000 S-P 5/8 1/01/2007 5/15/2007  ON
Serial: 67641598 MANUAL 1/01/2007

WATER 67641532 17-417660 484 WINESAP RD 1.000 S-P 5/8 1/01/2007 5/15/2007  ON
Serial: 67641532 MANUAL 1/01/2007

WATER 90301686 17-417665 500 WINESAP RD 1.000 s 5/8" 7/27/2021  ON
Serial: 90301686 MANUAL

WATER 75618729 17-417670 526 WINESAP RD 1.000 S 5/8" 6/23/2014  ON
Serial: 75618729 MANUAL

WATER 73987869 17-417675 530 WINESAP RD 1.000 S 5/8" 6/29/2012  ON
Serial: 73987869 MANUAL

WATER 75618677 17-417680 532 WINESAP RD 1.000 S 5/8" 10/02/2014 10/02/2014  ON
Serial: 75618677 MANUAL

WATER 75618854 17-417690 540 WINESAP RD 1.000 s 5/8" 1/15/2014  ON
Serial: 75618854 MANUAL

WATER 82386281 17-417700  548-A WINESAP RD 1.000 S 5/8" 6/26/2017  ON
Serial: 82386281 MANUAL

WATER 73987873 17-417710 160 HOLLY LN 1.000 S 5/8" 6/29/2012  ON
Serial: 73987873 MANUAL

WATER 73987871 17-417711 164 HOLLY LN 1.000 S 5/8" 6/29/2012  ON
Serial: 73987871 MANUAL

WATER 73987877 17-417712 163 HOLLY LN 1.000 S 5/8" 6/29/2012  ON
Serial: 73987877 MANUAL

WATER 73987870 17-417713 148 HENRY DR 1.000 S 5/8" 6/29/2012  ON
Serial: 73987870 MANUAL

WATER 73987872 17-417714 184 HENRY DR 1.000 s 5/8" 6/29/2012  ON
Serial: 73987872 MANUAL

WATER 73987868 17-417715 188 HENRY DR 1.000 S 5/8" 6/29/2012  ON
Serial: 73987868 MANUAL

WATER 54773265 17-417717 181 HENRY DR 1.000 R-P 5/8 1/01/1999 0/00/2000  ON
Serial: 54773265 MANUAL 1/01/1999

WATER 80002661 17-417718 133 HENRY DR 1.000 S 5/8" 12/09/2016 12/09/2016  ON
Serial: 80002661 MANUAL

WATER 82386316 17-417730 115 HOLLY LN 1.000 S 5/8" 6/26/2017  ON
Serial: 82386316 MANUAL

WATER 82386314 17-417735 632 WINESAP RD 1.000 S 5/8" 6/26/2017  ON
Serial: 82386314 MANUAL

WATER 82386395 17-417740 644 WINESAP RD & 646 1.000 s 5/8" 6/26/2017  ON
Serial: 82386395 MANUAL

WATER 70171252 17-417750 664 WINESAP RD 1.000 S-P 5/8 1/01/2009 5/21/2009  ON
Serial: 70171252 MANUAL 1/01/2009

WATER 70171286 17-417755 706 WINESAP RD 1.000 S-P 5/8 1/01/2009 5/06/2009  ON
Serial: 70171286 MANUAL 1/01/2009

WATER 73987946 17-417765 716 WINESAP RD 1.000 s 5/8" 10/21/2013  ON
Serial: 73987946 MANUAL

WATER 90301635 17-417768 742 WINESAP RD 1.000 s 5/8" 10/18/2023  ON

Serial: 90301635 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 57

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 17 - BOOK 17

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 80002662 17-417770 740 WINESAP RD 1.000 S 5/8" 12/09/2016 12/09/2016  ON
Serial: 80002662 MANUAL

WATER 88239895 17-417780 754 WINESAP RD 1.000 s 5/8" 11/06/2020  ON
Serial: 88239895 MANUAL

WATER 80003091 17-417785 756 WINESAP RD 1.000 S 5/8" 10/12/2016  ON
Serial: 80003091 MANUAL

WATER 82386317 17-417790 770 WINESAP RD 1.000 S 5/8" 6/26/2017  ON
Serial: 82386317 MANUAL

WATER 82386391 17-417795 772 WINESAP RD 1.000 S 5/8" 6/26/2017  ON
Serial: 82386391 MANUAL

WATER 90301804 17-417840 868 WINESAP RD 1.000 S 5/8" 9/02/2021  ON
Serial: 90301804 MANUAL

WATER 70171285 17-417850 964 WINESAP RD 1.000 R-P 5/8 1/01/2009 5/06/2009  ON
Serial: 70171285 MANUAL 1/01/2009

WATER 75618586 17-417855 998 WINESAP RD 1.000 s 5/8" 4/28/2015  OFF
Serial: 75618586 1.000 MANUAL

WATER 88239932 17-417860 1036 WINESAP RD 1.000 S 5/8" 3/04/2021  ON
Serial: 88239932 MANUAL

WATER 84008074 17-417861 1032 WINESAP RD 1.000 s 5/8" 2/22/2018  ON
Serial: 84008074 MANUAL

WATER 54578727 17-417862 1038 WINESAP RD 1.000 S-P 5/8 1/01/1999 7/26/2000  ON
Serial: 54578727 MANUAL

WATER 88239772 17-417870 1110 WINESAP RD 1.000 S 5/8" 9/22/2020  ON
Serial: 88239772 MANUAL

WATER 63056515 17-417875 1148 WINESAP RD 1.000 S-P 5/8 1/01/2006 3/22/2006  ON
Serial: 63056515 MANUAL 1/01/2006

WATER 63056517 17-417876 1156 WINESAP RD 1.000 S-P 5/8 1/01/2006 3/22/2006  ON
Serial: 63056517 MANUAL

WATER 67641450 17-417880 1186 WINESAP RD 1.000 S-P 5/8 1/01/2007 6/14/2007  ON
Serial: 67641450 MANUAL

WATER 82386393 17-417998 178 BRECKENRIDGE CT 1.000 S 5/8" 6/26/2017  ON
Serial: 82386393 MANUAL

WATER 75618850 17-417999 151 BRECKENRIDGE CT 1.000 S 5/8" 12/29/2013 12/29/2013  ON
Serial: 75618850 MANUAL

WATER 75618576 17-418000 141 BRECKENRIDGE CT 1.000 S 5/8" 3/31/2015 ON
Serial: 75618576 MANUAL

WATER 70171507 17-418020 1296 WINESAP RD 1.000 S-P 5/8 1/01/2009 10/29/2009  ON
Serial: 70171507 MANUAL

WATER 75618579 17-418900 1273 WINESAP RD 1.000 s 5/8" 4/07/2015  ON
Serial: 75618579 MANUAL

WATER 96689003 17-418902 1313 WINESAP RD 1.000 S-IPRL  5/8" 1/29/2025  ON
Serial: 96689003 MANUAL

WATER 90301521 17-418905 1249 WINESAP RD 1.000 S 5/8" 5/11/2022  ON
Serial: 90301521 MANUAL

WATER 82386390 17-418906 1241 WINESAP RD 1.000 S 5/8" 6/26/2017  ON
Serial: 82386390 MANUAL

WATER 84008004 17-418907 1219 WINESAP RD 1.000 s 5/8" 2/22/2018  ON

Serial: 84008004 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 58

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 17 - BOOK 17

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 56458055 17-418910 1201 WINESAP RD 1.000 S-P 5/8" 1/01/1999 12/11/2000  ON
Serial: 56458055 MANUAL

WATER 96689056 17-419000 116 EWERS LN 1.000 S 5/8" 5/05/2025  ON
Serial: 96689056 MANUAL

WATER 94814832 17-419003 1402 WINESAP RD 1.000 S 5/8" 5/05/2025  ON
Serial: 94814832 MANUAL

WATER 75618575 17-419050 1191 WINESAP RD 1.000 s 5/8" 4/07/2015  ON
Serial: 75618575 MANUAL

WATER 66214228 17-419051 1179 WINESAP RD 1.000 S 1 1/01/2006 7/19/2006  ON
Serial: 66214228 MANUAL

WATER 88239386 17-419052 1175 WINESAP RD 1.000 S 5/8" 9/23/2020  ON
Serial: 88239386 MANUAL

WATER 96689052 17-419055 1371 WINESAP RD 1.000 S-IPRL 5/8" 4/28/2025  ON
Serial: 96689052 MANUAL

WATER 96689053 17-419056 1377 WINESAP RD 1.000 S-IPRL 5/8" 5/08/2025  ON
Serial: 96689053 MANUAL

WATER 54773387 17-419074 1081 WINESAP RD 1.000 S-P 5/8 1/01/1999 9/22/2000  ON
Serial: 54773387 MANUAL

WATER 90301817 17-419095 128 WINRIDGE DR 1.000 S 5/8" 8/01/2022  ON
Serial: 90301817 MANUAL

WATER 80003415 17-419100 106 BRANDYWINE DR 1.000 S 5/8" 12/09/2016 12/09/2016  ON
Serial: 80003415 MANUAL

WATER 82386276 17-419101 114 BRANDYWINE DR 1.000 S 5/8" 6/26/2017  ON
Serial: 82386276 MANUAL

WATER 73681807 17-419102 128 BRANDYWINE DR 1.000 S 5/8" 10/09/2013  ON
Serial: 73681807 MANUAL

WATER 86011817 17-419103 138 BRANDYWINE DR 1.000 S 5/8" 5/28/2019  ON
Serial: 86011817 MANUAL

WATER 80003412 17-419104 144 BRANDYWINE DR 1.000 S 5/8" 12/09/2016 12/09/2016  ON
Serial: 80003412 MANUAL

WATER 73987924 17-419105 156 BRANDYWINE DR 1.000 S 5/8" 5/27/2014  ON
Serial: 73987924 MANUAL

WATER 82386584 17-419106 166 BRANDYWINE DR 1.000 s 5/8" 10/04/2017  ON
Serial: 82386584 MANUAL

WATER 54773268 17-419107 182 BRANDYWINE DR 1.000 R-P 5/8 1/01/1999 0/00/2000  ON
Serial: 54773268 MANUAL 1/01/1999

WATER 75618574 17-419108 184 BRANDYWINE DR 1.000 S 5/8" 4/07/2015  ON
Serial: 75618574 MANUAL

WATER 82386590 17-419109 192 BRANDYWINE DR 1.000 S 5/8" 6/26/2017  ON
Serial: 82386590 MANUAL

WATER 80003410 17-419110 204 BRANDYWINE DR 1.000 S 5/8" 12/09/2016 12/09/2016  ON
Serial: 80003410 MANUAL

WATER 54773258 17-419112 115 GRIMES DR 1.000 R-P 5/8 1/01/1999 0/00/2000  ON
Serial: 54773258 MANUAL 1/01/1999

WATER 73987875 17-419113 163 APPLE WAY 1.000 S 5/8" 6/29/2012  ON
Serial: 73987875 MANUAL

WATER 82386562 17-419114 153 APPLE WAY 1.000 S 5/8" 6/26/2017  ON

Serial: 82386562 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 59
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 17 - BOOK 17
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 72583904 17-419115 147 APPLE WAY 1.000 s 5/8" 4/30/2013  ON
Serial: 72583904 MANUAL
WATER 54578815 17-419116 104 STAYMAN LN 000 S-P 5/8 1/01/1999 2/17/2000  ON
Serial: 54578815 MANUAL 1/01/1999
WATER 73987878 17-419117 118 STAYMAN LN 000 s 5/8" 7/09/2012  ON
Serial: 73987878 MANUAL
WATER 73987876 17-419118 120 STAYMAN LN .000 S 5/8" 6/29/2012  ON
Serial: 73987876 MANUAL
WATER 82386558 17-419119 121 STAYMAN LN .000 S 5/8" 6/26/2017  ON
Serial: 82386558 MANUAL
WATER 72853901 17-419120 117 STAYMAN LN .000 S 5/8" 4/30/2013  ON
MANUAL
WATER 67641463 17-419121 109 STAYMAN LN 000 S-P 5/8 1/01/2007 5/17/2007  ON
Serial: 67641463 MANUAL 1/01/2007
WATER 80002675 17-419122 129 APPLE WAY 000 S 5/8" 12/09/2016 12/09/2016  ON
Serial: 80002675 MANUAL
WATER 54773368 17-419123 123 APPLE WAY 000 R-P 5/8 1/01/1999 0/00/2000  ON
Serial: 54773368 MANUAL 1/01/1999
WATER 54773262 17-419124 115 APPLE WAY .000 R-P 5/8 1/01/1999 0/00/2000  ON
Serial: 54773262 MANUAL 1/01/1999
WATER 82386561 17-419130 104 APPLE WAY .000 S 5/8" 6/26/2017  ON
Serial: 82386561 MANUAL
WATER 82386878 17-419131 114 APPLE WAY .000 S 5/8" 7/27/2017  ON
Serial: 82386878 MANUAL
WATER 73987949 17-419133 126 APPLE WAY 000 S 5/8" 10/21/2013  ON
Serial: 73987949 MANUAL
WATER 54773369 17-419135 154 APPLE WAY 000 R-P 5/8 1/01/1999 0/00/2000  ON
Serial: 54773369 MANUAL 1/01/1999
WATER 80003413 17-419136 158 APPLE WAY 000 s 5/8" 12/09/2016 12/09/2016  ON
Serial: 80003413 MANUAL
WATER 90301411 17-419137 164 APPLE WAY .000 S 5/8" 5/08/2024  ON
Serial: 90301411 MANUAL
WATER 54773376 17-419138 178 APPLE WAY .000 R-P 5/8 1/01/1999 0/00/2000  ON
Serial: 54773376 MANUAL 1/01/1999
WATER 80002658 17-419139 182 APPLE WAY .000 s 5/8" 12/09/2016 12/09/2016  ON
MANUAL
WATER 72853906 17-419140 188 APPLE WAY 000 S 5/8" 4/30/2013  ON
Serial: 72853906 MANUAL
WATER 80002659 17-419141 196 APPLE WAY 000 S 5/8" 12/09/2016 12/09/2016  ON
Serial: 80002659 MANUAL
WATER 73987915 17-419142 106 YORK DR 000 s 5/8" 10/03/2013  ON
Serial: 73987915 MANUAL
WATER 73987912 17-419143 114 YORK DR .000 S 5/8" 10/18/2013  ON
Serial: 73987912 MANUAL
WATER 73987910 17-419144 118 YORK DR .000 S 5/8" 10/03/2013  ON
Serial: 73987910 MANUAL
WATER 82386876 17-419145 119 YORK DR .000 S 5/8" 7/27/2017  ON
Serial: 82386876 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 60

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 17 - BOOK 17

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 100933517 17-419146 117 YORK DR 1.000 S-IPRL 5/8" 11/03/2025  ON
Serial: 100933517 MANUAL

WATER 82386442 17-419148 240 APPLE WAY 1.000 S 5/8" 7/27/2017  ON
Serial: 82386442 MANUAL

WATER 72853874 17-419149 248 APPLE WAY 1.000 S 5/8" 4/30/2013  ON
Serial: 72853874 MANUAL

WATER 51182322 17-419151 260 APPLE WAY 1.000 R-P 5/8 1/01/1998 0/00/2000  ON
Serial: 51182322 MANUAL 1/01/1998

WATER 72853903 17-419152 268 APPLE WAY 1.000 s 5/8" 4/30/2013  ON
Serial: 72853903 MANUAL

WATER 67641468 17-419154 273 APPLE WAY 1.000 S-P 5/8 1/01/2007 5/17/2007  ON
Serial: 67641468 MANUAL 1/01/2007

WATER 82386441 17-419155 271 APPLE WAY 1.000 S 5/8" 7/27/2017  ON
Serial: 82386441 MANUAL

WATER 82386440 17-419156 267 APPLE WAY 1.000 S 5/8" 7/27/2017  ON
Serial: 82386440 MANUAL

WATER 72853875 17-419157 263 APPLE WAY 1.000 S 5/8" 4/30/2013  ON
Serial: 72853875 MANUAL

WATER 80002656 17-419158 247 APPLE WAY 1.000 S 5/8" 12/09/2016 12/09/2016  ON
Serial: 80002656 MANUAL

WATER 80002657 17-419160 235 APPLE WAY 1.000 S 5/8" 12/09/2016 12/09/2016  ON
Serial: 80002657 MANUAL

WATER 72853872 17-419161 221 APPLE WAY 1.000 s 5/8" 4/30/2013  ON
Serial: 72853872 MANUAL

WATER 73987914 17-419162 124 JONATHAN ST 1.000 S 5/8" 10/03/2013  ON
Serial: 73987914 MANUAL

WATER 73987913 17-419164 136 JONATHAN ST 1.000 S 5/8" 10/03/2013  ON
Serial: 73987913 MANUAL

WATER 73987911 17-419165 142 JONATHAN ST 1.000 S 5/8" 10/03/2013  ON
Serial: 73987911 MANUAL

WATER 82386438 17-419166 144 JONATHAN ST 1.000 s 5/8" 7/27/2017  ON
Serial: 82386438 MANUAL

WATER 80002654 17-419167 145 JONATHAN ST 1.000 S 5/8" 12/09/2016 12/09/2016  ON
Serial: 80002654 MANUAL

WATER 82386439 17-419168 143 JONATHAN ST 1.000 s 5/8" 7/27/2017  ON
Serial: 82386439 MANUAL

WATER 71032082 17-419169 137 JONATHAN ST 1.000 s-P 5/8 1/01/2010 3/09/2010  ON
Serial: 71032082 MANUAL 1/01/2010

WATER 70171282 17-419170 135 JONATHAN ST 1.000 R-P 5/8 1/01/2009 5/06/2009  ON
Serial: 70171282 MANUAL 1/01/2009

WATER 67641464 17-419171 127 JONATHAN ST 1.000 S-P 5/8 1/01/2007 5/17/2007  ON
Serial: 67641464 MANUAL 1/01/2007

WATER 80002655 17-419172 115 JONATHAN ST 1.000 S 5/8" 12/30/2016 12/09/2016  ON
Serial: 80002655 MANUAL

WATER 58575694 17-419174 199 APPLE WAY 1.000 R-P 5/8 1/01/2001 9/26/2001  ON
Serial: 58575694 MANUAL 1/01/2001

WATER 67641182 17-419175 195 APPLE WAY 1.000 S-P 5/8 1/01/2008 1/25/2008  ON

Serial: 67641182 MANUAL 1/01/2008





2/11/2026 12:43 PM METER REPORT PAGE : 61

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 17 - BOOK 17

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 67641466 17-419176 185 APPLE WAY 1.000 S-P 5/8 1/01/2007 5/17/2007  ON
Serial: 67641466 MANUAL 1/01/2007

WATER 82386493 17-419177 177 APPLE WAY 1.000 s 5/8" 7/27/2017  ON
Serial: 82386493 MANUAL

WATER 82386497 17-419178 120 GRIMES DR 1.000 S 5/8" 7/27/2017  ON
Serial: 82386497 MANUAL

WATER 73987950 17-419179 128 GRIMES DR 1.000 s 5/8" 10/21/2013  ON
Serial: 73987950 MANUAL

WATER 73987951 17-419180 136 GRIMES DR 1.000 s 5/8" 10/21/2013  ON
Serial: 73987951 MANUAL

WATER 100933492 17-419181 144 GRIMES DR 1.000 S-IPRL  5/8" 11/03/2025 ON
Serial: 100933492 MANUAL

WATER 80003384 17-419182 150 GRIMES DR 1.000 S 5/8" 12/28/2016 12/28/2016  ON
Serial: 80003384 MANUAL

WATER 70171281 17-419183 153 GRIMES DR 1.000 S-P 5/8 1/01/2009 5/06/2009  ON
Serial: 70171281 MANUAL 1/01/2009

WATER 80003381 17-419184 151 GRIMES DR 1.000 S 5/8" 12/28/2016 12/28/2016  ON
Serial: 80003381 MANUAL

WATER 82386492 17-419186 139 GRIMES DR 1.000 s 5/8" 7/27/2017  ON
Serial: 82386492 MANUAL

WATER 90301436 17-419187 201 BRANDYWINE DR 1.000 s 5/8" 1/12/2024  ON
Serial: 90301436 MANUAL

WATER 80003383 17-419188 193 BRANDYWINE DR 1.000 S 5/8" 12/28/2016 12/28/2016  ON
Serial: 80003383 MANUAL

WATER 82386496 17-419189 185 BRANDYWINE DR 1.000 S 5/8" 7/27/2017  ON
Serial: 82386496 MANUAL

WATER 80003382 17-419190 177 BRANDYWINE DR 1.000 s 5/8" 12/01/2016  ON
Serial: 80003382 MANUAL

WATER 80003380 17-419191 169 BRANDYWINE DR 1.000 S 5/8" 12/01/2016  ON
Serial: 80003380 MANUAL

WATER 90301434 17-419194 147 BRANDYWINE DR 1.000 S 5/8" 3/06/2024  ON
Serial: 90301434 MANUAL

WATER 80003397 17-419197 113 BRANDYWINE DR 1.000 s 5/8" 12/01/2016  ON
Serial: 80003397 MANUAL

WATER 84007995 17-419200 168 WINRIDGE DR 1.000 S 5/8" 3/26/2018  ON
Serial: 84007995 MANUAL

WATER 84008000 17-419230 155 WINRIDGE DR 1.000 S 5/8" 2/26/2018  ON
Serial: 84008000 MANUAL

WATER 80003396 17-419250 773 WINESAP RD 1.000 s 5/8" 12/01/2016  ON
Serial: 80003396 MANUAL

WATER 82386344 17-419275 667 WINESAP RD 1.000 S 5/8" 12/18/2017  ON
Serial: 82386344 MANUAL

WATER 73681758 17-419300 116 CRICKET HILLS 1.000 s 5/8" 10/08/2013  ON
Serial: 73681758 MANUAL

WATER 54773372 17-419310 128 CRICKET HILLS 1.000 R-P 5/8 1/01/1999 0/00/2000  ON
Serial: 54773372 MANUAL 1/01/1999

WATER 80003367 17-419325 705 WINESAP RD 1.000 s 5/8" 2/01/2017  ON

Serial: 80003367 MANUAL





2/11/2026 12:43 PM REPORT PAGE : 62

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT

DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes

DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 17 - BOOK 17
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 82386494 17-419326 703 WINESAP RD 1.000 S 5/8" 7/27/2017  ON
Serial: 82386494 MANUAL

WATER 68691810 17-419398 124 LYNWOOD DR 1.000 S-P 5/8 1/01/2008 10/09/2008  ON
Serial: 68691810 MANUAL

WATER 88239790 17-419400 156 LYNWOOD DR 1.000 S 5/8" 9/22/2020  ON
Serial: 88239790 MANUAL

WATER 67641225 17-419500 166 LYNWOOD DR 1.000 S-P 5/8 1/01/2007 10/17/2007  ON
Serial: 67641225 MANUAL

WATER 88239787 17-419600 176 LYNWOOD DR 1.000 S 5/8" 9/24/2020  ON
Serial: 88239787 MANUAL

WATER 82386832 17-419700 224 LYNWOOD DR 1.000 s 5/8" 7/27/2017  ON
Serial: 82386832 MANUAL

WATER 82386833 17-419702 252 LYNWOOD DR 1.000 S 5/8" 7/27/2017  ON
Serial: 82386833 MANUAL

WATER 82386829 17-419704 274 LYNWOOD DR 1.000 S 5/8" 7/27/2017  ON
Serial: 82386829 MANUAL

WATER 82386563 17-419710 345 LYNWOOD DR 1.000 S 5/8" 6/27/2017  ON
Serial: 82386563 MANUAL

WATER 80003395 17-419712 337 LYNWOOD DR 1.000 s 5/8" 1/27/2017  ON
Serial: 80003395 MANUAL

WATER 58575598 17-419714 313 LYNWOOD DR 1.000 S-P 5/8 1/01/2001 5/20/2002  ON
Serial: 58575598 MANUAL 1/01/2001

WATER 82386290 17-419716 289 LYNWOOD DR 1.000 S 5/8" 6/27/2017  ON
Serial: 82386290 MANUAL

WATER 80003393 17-419718 267 LYNWOOD DR 1.000 s 5/8" 12/01/2016  ON
Serial: 80003393 MANUAL

WATER 82386560 17-419720 120 HARDWOOD LN 1.000 S 5/8" 6/27/2017  ON
Serial: 82386560 MANUAL

WATER 82386591 17-419722 130 HARDWOOD LN 1.000 S 5/8" 6/27/2017  ON
Serial: 82386591 MANUAL

WATER 54578802 17-419725 158 HARDWOOD LN 1.000 S-P 5/8 1/01/1998 5/06/1999  ON
Serial: 54578802 MANUAL

WATER 88239889 17-419728 164 HARDWOOD LN 1.000 S 5/8" 9/22/2020  ON
Serial: 88239889 MANUAL

WATER 80003303 17-419735 161 HARDWOOD LN 1.000 s 5/8" 12/01/2016  ON
Serial: 80003303 MANUAL

WATER 82386559 17-419740 133 HARDWOOD LN 1.000 S 5/8" 6/27/2017  ON
Serial: 82386559 MANUAL

WATER 80003394 17-419745 113 HARDWOOD LN 1.000 S 5/8" 12/01/2016  ON
Serial: 80003394 MANUAL

WATER 73987874 17-419900 173 LYNWOOD DR 1.000 S 5/8" 6/29/2012  ON
Serial: 73987874 MANUAL

WATER 73681755 17-419910 148 WALLACE DR 1.000 s 5/8" 10/08/2013  ON
Serial: 73681755 MANUAL

WATER 75618684 17-419911 153 WALLACE DR 1.000 s 5/8" 4/07/2015  ON
Serial: 75618684 MANUAL

WATER 88239785 17-420000 155 LYNWOOD DR 1.000 S 5/8" 9/24/2020  ON
Serial: 88239785 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 63

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 17 - BOOK 17

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 88239767 17-420100 139 LYNWOOD DR 1.000 S 5/8" 9/24/2020  ON
Serial: 88239767 MANUAL

WATER 88239770 17-420200 123 LYNWOOD DR 1.000 S 5/8" 9/22/2020  ON
Serial: 88239770 MANUAL

WATER 75618696 17-420300 585 WINESAP RD 1.000 S 5/8" 5/27/2016  ON
Serial: 75618696 MANUAL

WATER 67641226 17-420500 555 WINESAP RD 1.000 S-P 5/8 1/01/2007 10/17/2007  ON
Serial: 67641226 MANUAL 1/01/2007

WATER 88239890 17-420700 529 WINESAP RD 1.000 S 5/8" 9/24/2020  ON
Serial: 88239890 MANUAL

WATER 67641197 17-420900 519 WINESAP RD 1.000 S-P 5/8 1/01/2007 10/17/2007  ON
Serial: 67641197 MANUAL

WATER 90301821 17-420905 497 WINESAP RD 1.000 s 5/8" 5/11/2023  ON
Serial: 90301821 MANUAL

WATER 67641196 17-421000 495 WINESAP RD 1.000 S-P 5/8 1/01/2007 10/17/2007  ON
Serial: 67641196 MANUAL

WATER 88239887 17-421200 132 WEDGEWOOD PL 1.000 S 5/8" 9/24/2020  ON
Serial: 88239887 MANUAL

WATER 88239786 17-421201 140 WEDGEWOOD PL 1.000 S 5/8" 9/24/2020  ON
Serial: 88239786 MANUAL

WATER 67641194 17-421202 148 WEDGEWOOD PL 1.000 S-P 5/8 1/01/2007 10/17/2007  ON
Serial: 67641194 MANUAL

WATER 73987780 17-421203 156 WEDGEWOOD PL 1.000 S 5/8" 5/04/2015 ON
Serial: 73987780 MANUAL

WATER 80003360 17-421204 164 WEDGEWOOD PL 1.000 S 5/8" 12/01/2016  ON
Serial: 80003360 MANUAL

WATER 80003361 17-421207 173 WEDGEWOOD PL 1.000 s 5/8" 12/01/2016  ON
Serial: 80003361 MANUAL

WATER 71458580 17-421208 171 WEDGEWOOD PL 1.000 S 5/8" 3/18/2011 3/22/2011  ON
Serial: 71458580 MANUAL

WATER 82386593 17-421209 167 WEDGEWOOD PL 1.000 S 5/8" 6/27/2017  ON
Serial: 82386593 MANUAL

WATER 67641360 17-421210 157 WEDGEWOOD PL 1.000 S-P 5/8 1/01/2007 5/23/2007  ON
Serial: 67641360 MANUAL 1/01/2007

WATER 71458546 17-421211 149 WEDGEWOOD PL 1.000 S 5/8" 9/20/2010  ON
Serial: 71458546 MANUAL

WATER 67641618 17-421212 141 WEDGEWOOD PL 1.000 S-P 5/8 1/01/2007 5/23/2007  ON
Serial: 67641618 MANUAL 1/01/2007

WATER 67641007 17-421213 133 WEDGEWOOD PL 1.000 S-P 5/8 1/01/2007 12/13/2007  ON
Serial: 67641007 MANUAL 1/01/2007

WATER 80003356 17-421215 119 WEDGEWOOD PL 1.000 S 5/8" 12/01/2016  ON
Serial: 80003356 MANUAL

WATER 67641355 17-421216 471 WINESAP RD 1.000 S-P 5/8 1/01/2007 5/23/2007  ON
Serial: 67641355 MANUAL 1/01/2007

WATER 82386589 17-421500 423 WINESAP RD 1.000 S 5/8" 6/27/2017  ON
Serial: 82386589 MANUAL

WATER 59295701 17-421600 415 WINESAP RD 1.000 R-P 5/8 1/01/2002 2/22/2002  ON

Serial: 59295701 MANUAL 1/01/2002





2/11/2026 12:43 PM METER REPORT PAGE : 64
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT

DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes

DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999

BOOK: 17 - BOOK 17
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
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2/11/2026 12:43 PM METER REPORT PAGE : 65
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 17 - BOOK 17
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 67641310 17-421877 135 RALLS APPLE LN 1.000 S-P 5/8 1/01/2007 10/23/2007  ON
Serial: 67641310 MANUAL
WATER 88239857 17-421878 119 RALLS APPLE LN 1.000 s 5/8" 7/01/2021  ON
Serial: 88239857 MANUAL
WATER 80003365 17-421879 262 FOX BRIAR LN 1.000 S 5/8" 1/05/2017  ON
Serial: 80003365 MANUAL
WATER 75618727 17-421880 278 FOX BRIAR LN 1.000 S 5/8" 6/03/2014 6/03/2014  ON
Serial: 75618727 MANUAL
WATER 72853897 17-421881 286 FOX BRIAR LN 1.000 S 5/8" 6/30/2011  ON
Serial: 72853897 MANUAL
WATER 73681678 17-421882 285 FOX BRIAR LN 1.000 s 5/8" 12/01/2013  ON
Serial: 73681678 MANUAL
WATER 67412654 17-421884 259 FOX BRIAR LN 1.000 S 5/8" 4/03/2012  ON
Serial: 67412654 MANUAL
WATER 67641346 17-421885 227 FOX BRIAR LN 1.000 S-P 5/8 1/01/2007 8/15/2007  ON
Serial: 67641346 MANUAL
WATER 67641390 17-421886 217 FOX BRIAR LN 1.000 S-P 5/8 1/01/2007 6/25/2007  ON
Serial: 67641390 MANUAL
WATER 80003295 17-421887 215 FOX BRIAR LN 1.000 s 5/8" 12/18/2017  ON
Serial: 80003295 MANUAL
WATER 84008103 17-421888 201 FOX BRIAR LN 1.000 s 5/8" 10/02/2018  ON
Serial: 84008103 MANUAL
WATER 68691796 17-421889 185 FOX BRIAR LN 1.000 S-P 5/8 1/01/2008 7/23/2008  ON
Serial: 68691796 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 66

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 18 - BOOK 18

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 84007981 18-421901 138 NOTTINGHAM PL 1.000 S 5/8" 1/31/2019 ON
Serial: 84007981 MANUAL
WATER 64642961 18-421902 148 NOTTINGHAM PL 1.000 S-P 5/8 1/01/2006 2/23/2006  ON
Serial: 64642961 MANUAL 1/01/2006
WATER 51971434 18-421903 164 NOTTINGHAM PL 1.000 R-P 5/8 1/01/1996 2/18/1997  ON
Serial: 51971434 MANUAL 1/01/1996
WATER 67641356 18-421904 166 NOTTINGHAM PL 1.000 S-P 5/8 1/01/2007 5/23/2007  ON
Serial: 67641356 MANUAL 1/01/2007
WATER 86011820 18-421905 174 NOTTINGHAM PL 1.000 S 5/8" 5/28/2019  ON
Serial: 86011820 MANUAL
WATER 45548271 18-421906 184 NOTTINGHAM PL 1.000 S-P 5/8 1/01/2006 11/18/1991  ON
Serial: 45548271 MANUAL 1/01/2006
WATER 64642962 18-421907 192 NOTTINGHAM PL 1.000 S-P 5/8 1/01/2006 2/23/2006  ON
Serial: 64642962 MANUAL 1/01/2006
WATER 84008001 18-421908 200 NOTTINGHAM PL 1.000 s 5/8" 2/26/2018  ON
Serial: 84008001 MANUAL
WATER 64642965 18-421909 208 NOTTINGHAM PL 1.000 S-P 5/8 1/01/2006 2/23/2006  ON
Serial: 64642965 MANUAL 1/01/2006
WATER 64642960 18-421910 216 NOTTINGHAM PL 1.000 S-P 5/8 1/01/2006 2/23/2006  ON
Serial: 64642960 MANUAL 1/01/2006
WATER 64642963 18-421911 222 NOTTINGHAM PL 1.000 S-P 5/8 1/01/2006 2/23/2006  ON
Serial: 64642963 MANUAL 1/01/2006
WATER 67641358 18-421912 230 NOTTINGHAM PL 1.000 S-P 5/8 1/01/2007 5/23/2007  ON
Serial: 67641358 MANUAL 1/01/2007
WATER 67641485 18-421913 134 ROBINHOOD PL 1.000 S-P 5/8 1/01/2007 4/17/2007  ON
Serial: 67641485 MANUAL 1/01/2007
WATER 67641176 18-421914 124 BERKSHIRE PL 1.000 S-P 5/8 1/01/2007 10/17/2007  ON
Serial: 67641176 MANUAL 1/01/2007
WATER 67641178 18-421915 126 BERKSHIRE PL 1.000 S-P 5/8 1/01/2007 10/18/2007  ON
Serial: 67641178 MANUAL 1/01/2007
WATER 67641149 18-421916 134 BERKSHIRE PL 1.000 S-P 5/8 1/01/2007 10/17/2007  ON
Serial: 67641149 MANUAL 1/01/2007
WATER 67641150 18-421917 144 BERKSHIRE PL 1.000 S-P 5/8 1/01/2007 10/17/2007  ON
Serial: 67641150 MANUAL 1/01/2007
WATER 90301649 18-421921 173 BERKSHIRE PL 1.000 s 5/8" 11/14/2022  ON
Serial: 90301649 MANUAL
WATER 67641177 18-421922 161 BERKSHIRE PL 1.000 S-P 5/8 1/01/2007 10/17/2007  ON
Serial: 67641177 MANUAL 1/01/2007
WATER 67641125 18-421923 153 BERKSHIRE PL 1.000 S-P 5/8 1/01/2007 10/18/2007  ON
Serial: 67641125 MANUAL 1/01/2007
WATER 67641484 18-421924 143 BERKSHIRE PL 1.000 S-P 5/8 3/01/2007 4/17/2007  ON
Serial: 67641484 MANUAL 3/01/2007
WATER 67641486 18-421925 135 BERKSHIRE PL 1.000 S-P 5/8 3/01/2007 4/17/2007  ON
Serial: 67641486 MANUAL 3/01/2007
WATER 67641357 18-421926 127 BERKSHIRE PL 1.000 S-P 5/8 1/01/2007 5/23/2007  ON
Serial: 67641357 MANUAL 1/01/2007
WATER 66213919 18-421927 115 BERKSHIRE PL 1.000 S-P 5/8 1/01/2006 2/23/2006  ON

Serial: 66213919 MANUAL 1/01/2006





2/11/2026 12:43 PM METER REPORT PAGE : 67

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 18 - BOOK 18

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 67641482 18-421928 107 BERKSHIRE PL 1.000 s-P 5/8 1/01/2007 4/17/2007  ON
Serial: 67641482 MANUAL 1/01/2007
WATER 67641365 18-421929 160 ROBINHOOD PL 1.000 S-P 5/8 1/01/2007 5/23/2007  ON
Serial: 67641365 MANUAL 1/01/2007
WATER 71032130 18-421930 166 ROBINHOOD PL 1.000 S-P 5/8 1/01/2010 3/10/2010  ON
Serial: 71032130 MANUAL 1/01/2010
WATER 67641366 18-421931 165 ROBINHOOD PL 1.000 S-P 5/8 1/01/2007 5/23/2007  ON
Serial: 67641366 MANUAL 1/01/2007
WATER 67641363 18-421932 161 ROBINHOOD PL 1.000 S-P 5/8 1/01/2007 5/23/2007  ON
Serial: 67641363 MANUAL 1/01/2007
WATER 82386289 18-421933 147 ROBINHOOD PL 1.000 S 5/8" 6/28/2017  ON
Serial: 82386289 MANUAL
WATER 67641410 18-421934 145 ROBINHOOD PL 1.000 S-P 5/8 1/01/2007 6/28/2007  ON
Serial: 67641410 MANUAL 1/01/2007
WATER 67641376 18-421935 131 ROBINHOOD PL 1.000 S-P 5/8 1/01/2007 5/28/2007  ON
Serial: 67641376 MANUAL 1/01/2007
WATER 67641375 18-421936 123 ROBINHOOD PL 1.000 S-P 5/8 1/01/2007 6/28/2007  ON
Serial: 67641375 MANUAL 1/01/2007
WATER 82386291 18-421938 107 ROBINHOOD PL 1.000 S 5/8" 6/28/2017  ON
Serial: 82386291 MANUAL
WATER 88239788 18-421939 105 ROBINHOOD PL 1.000 S 5/8" 9/24/2020  ON
Serial: 88239788 MANUAL
WATER 60181382 18-421940 103 ROBINHOOD PL 1.000 S-P 5/8 1/01/2003 4/28/2004  ON
Serial: 60181382 MANUAL 1/01/2003
WATER 82386288 18-421941 102 ROBINHOOD PL 1.000 S 5/8" 6/28/2017  ON
Serial: 82386288 MANUAL
WATER 75618686 18-421942 229 NOTTINGHAM PL 1.000 s 5/8" 4/07/2015  ON
Serial: 75618686 MANUAL
WATER 67641373 18-421943 221 NOTTINGHAM PL 1.000 S-P 5/8 1/01/2007 6/28/2007  ON
Serial: 67641373 MANUAL 1/01/2007
WATER 70171529 18-421944 215 NOTTINGHAM PL 1.000 R-P 5/8 1/01/2009 5/06/2009  ON
Serial: 70171529 MANUAL 1/01/2009
WATER 46056783 18-421945 207 NOTTINGHAM PL 1.000 S-P 5/8 1/01/2007 6/28/2007  ON
Serial: 46056783 MANUAL 1/01/2007
WATER 67641377 18-421946 199 NOTTINGHAM PL 1.000 S-P 5/8 1/01/2007 6/28/2007  ON
Serial: 67641377 MANUAL 1/01/2007
WATER 67641378 18-421947 197 NOTTINGHAM PL 1.000 s-P 5/8 1/01/2007 6/28/2007  ON
Serial: 67641378 MANUAL 1/01/2007
WATER 90301761 18-421948 183 NOTTINGHAM PL 1.000 s 5/8" 5/06/2022  ON
Serial: 90301761 MANUAL
WATER 60181441 18-421949 177 NOTTINGHAM PL 1.000 R-P 5/8 1/01/2007 8/02/2007  ON
Serial: 60181441 MANUAL 1/01/2007
WATER 67641139 18-421950 169 NOTTINGHAM PL 1.000 R-P 5/8 1/01/2007 8/02/2007  ON
Serial: 67641139 MANUAL 1/01/2007
WATER 71032084 18-421951 157 NOTTINGHAM PL 1.000 S-P 5/8 1/01/2010 3/10/2010  ON
Serial: 71032084 MANUAL 1/01/2010
WATER 71032131 18-421953 143 NOTTINGHAM PL 1.000 S-P 5/8 1/01/2010 3/10/2010 ON

Serial: 71032131 MANUAL 1/01/2010





2/11/2026 12:43 PM METER REPORT PAGE : 68

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 18 - BOOK 18

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 75618687 18-422000 379 WINESAP RD 1.000 S 5/8" 4/07/2015  ON
Serial: 75618687 MANUAL
WATER 80003359 18-422100 357 WINESAP RD 1.000 s 5/8" 12/01/2016  ON
Serial: 80003359 MANUAL
WATER 82386278 18-422200 347 WINESAP RD 1.000 S 5/8" 6/28/2017  ON
Serial: 82386278 MANUAL
WATER 59295755 18-422300 339 WINESAP RD 1.000 R-P 5/8 1/01/2002 3/11/2002  ON
Serial: 59295755 MANUAL 1/01/2002
WATER 82386312 18-422400 333 WINESAP RD 1.000 S 5/8" 6/28/2017  ON
Serial: 82386312 MANUAL
WATER 67641144 18-422500 110 FAIRFAX CIR 1.000 R-P 5/8 1/01/2007 8/02/2007  ON
Serial: 67641144 MANUAL 1/01/2007
WATER 80003358 18-422700 130 FAIRFAX CIR 1.000 S 5/8" 12/01/2016  ON
Serial: 80003358 MANUAL
WATER 67641143 18-422800 142 FAIRFAX CIR 1.000 R-P 1/01/2007 8/02/2007  ON
Serial: 67641143 MANUAL 1/01/2007
WATER 80003307 18-422900 150 FAIRFAX CIR 1.000 S 5/8" 12/01/2016  ON
Serial: 80003307 MANUAL
WATER 67641409 18-423000 156 FAIRFAX CIR 1.000 R-P 5/8 1/01/2007 8/02/2007  ON
Serial: 67641409 MANUAL 1/01/2007
WATER 67641412 18-423100 164 FAIRFAX CIR 1.000 R-P 1/01/2007 8/02/2007  ON
Serial: 67641412 MANUAL 1/01/2007
WATER 67641411 18-423200 176 FAIRFAX CIR 1.000 R-P 5/8 1/01/2007 8/02/2007  ON
Serial: 67641411 MANUAL 1/01/2007
WATER 67641414 18-423300 180 FAIRFAX CIR 1.000 R-P 5/8 1/01/2007 8/02/2007  ON
Serial: 67641414 MANUAL 1/01/2007
WATER 70171291 18-423400 200 FAIRFAX CIR 1.000 S-P 5/8 1/01/2009 9/22/2009  ON
Serial: 70171291 MANUAL 1/01/2009
WATER 67641613 18-423405 208 FAIRFAX CIR 1.000 S-P 5/8 1/01/2007 5/22/2007  ON
Serial: 67641613 MANUAL 1/01/2007
WATER 67641616 18-423500 214 FAIRFAX CIR 1.000 S-P 5/8 1/01/2007 5/22/2007  ON
Serial: 67641616 MANUAL 1/01/2007
WATER 82386293 18-423700 211 FAIRFAX CIR 1.000 S 5/8" 6/28/2017  ON
Serial: 82386293 MANUAL
WATER 70171551 18-423705 203 FAIRFAX CIR 1.000 S-P 5/8 1/01/2009 5/21/2009  ON
Serial: 70171551 MANUAL 1/01/2009
WATER 67641614 18-423800 189 FAIRFAX CIR 1.000 S-P 5/8 1/01/2007 5/22/2007  ON
Serial: 67641614 MANUAL 1/01/2007
WATER 67641617 18-423900 181 FAIRFAX CIR 1.000 S-P 5/8 1/01/2007 5/22/2007  ON
Serial: 67641617 MANUAL 1/01/2007
WATER 67641636 18-424000 173 FAIRFAX CIR 1.000 S-P 5/8 1/01/2007 5/22/2007  ON
Serial: 67641636 MANUAL 1/01/2007
WATER 67641634 18-424300 165 FAIRFAX CIR 1.000 S-P 5/8 1/01/2007 5/22/2007  ON
Serial: 67641634 MANUAL 1/01/2007
WATER 67641633 18-424400 163 FAIRFAX CIR 1.000 S-P 5/8 1/01/2007 10/22/2007  ON
Serial: 67641633 MANUAL 1/01/2007
WATER 80003357 18-424500 149 FAIRFAX CIR 1.000 s 5/8" 12/01/2016  ON

Serial: 80003307 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 69

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 18 - BOOK 18

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 82386475 18-424600 147 FAIRFAX CIR 1.000 s 5/8" 8/17/2017  ON
Serial: 82386475 MANUAL

WATER 82386474 18-424700 133 FAIRFAX CIR 1.000 s 5/8" 8/17/2017  ON
Serial: 82386474 MANUAL

WATER 82386479 18-425000 315 WINESAP RD 1.000 S 5/8" 8/17/2017  ON
Serial: 82386479 MANUAL

WATER 80003306 18-425100 311 WINESAP RD 1.000 s 5/8" 12/01/2016  ON
Serial: 80003306 MANUAL

WATER 80002829 18-425200 297 WINESAP RD 1.000 S 5/8" 8/02/2016  ON
Serial: 800002829 MANUAL

WATER 88239838 18-425300 291 WINESAP RD 1.000 s 5/8" 1/05/2021  ON
Serial: 88239838 MANUAL

WATER 71032079 18-425400 285 WINESAP RD 1.000 S-P 5/8 1/01/2010 3/10/2010  ON
Serial: 71032079 MANUAL 1/01/2010

WATER 82386477 18-425500 281 WINESAP RD 1.000 s 5/8" 8/17/2017  ON
Serial: 82386477 MANUAL

WATER 67641084 18-425600 265 WINESAP RD 1.000 S-P 5/8 1/01/2007 10/16/2007  ON
Serial: 67641084 MANUAL 1/01/2007

WATER 70171484 18-426000 132 FORESTON MANOR DR 100 1.000 R-P 5/8 1/01/2009 4/30/2009  ON
Serial: 70171484 MANUAL 1/01/2009

WATER 70171456 18-426001 132 FORESTON MANOR DR A 1.000 R-P 5/8 1/01/2009 4/30/2009  ON
Serial: 70171456 MANUAL 1/01/2009

WATER 67641081 18-426100 136 FORESTON MANOR DR 1.000 S-P 5/8 1/01/2007 10/16/2007  ON
Serial: 67641081 MANUAL 1/01/2007

WATER 67641079 18-426200 144 FORESTON MANOR DR 1.000 S-P 5/8 1/01/2007 10/16/2007  ON
Serial: 67641079 MANUAL 1/01/2007

WATER 67641227 18-426300 152 FORESTON MANOR DR 1.000 S-P 5/8 1/01/2007 10/16/2007  ON
Serial: 67641227 MANUAL 1/01/2007

WATER 90301819 18-426400 105 BEECHWOOD DR 1.000 S 5/8" 5/12/2023  ON
Serial: 90301819 MANUAL

WATER 67641223 18-426500 111 BEECHWOOD DR 1.000 S-P 5/8 1/01/2007 10/16/2007  ON
Serial: 67641223 MANUAL 1/01/2007

WATER 67641224 18-426600 114 BEECHWOOD DR 1.000 S-P 5/8 1/01/2007 10/16/2007  ON
Serial: 67641224 MANUAL 1/01/2007

WATER 70171563 18-426900 116 BEECHWOOD DR 1.000 S-P 5/8 1/01/2009 5/21/2009  ON
Serial: 70171563 MANUAL 1/01/2009

WATER 67641180 18-427000 126 BEECHWOOD DR 1.000 S-P 5/8 1/01/2007 10/17/2007  ON
Serial: 67641180 MANUAL 1/01/2007

WATER 67641175 18-427001 147 BEECHWOOD DR 1.000 S-P 5/8 1/01/2007 10/17/2007  ON
Serial: 67641175 MANUAL 1/01/2007

WATER 67641003 18-427100 130 BEECHWOOD DR 1.000 R-P 5/8 1/01/2007 12/05/2007  ON
Serial: 67641003 MANUAL 1/01/2007

WATER 88239927 18-427200 140 BEECHWOOD DR 1.000 S 5/8" 9/24/2020  ON
Serial: 88239927 MANUAL

WATER 80003304 18-427300 151 BEECHWOOD DR 1.000 s 5/8" 12/01/2016  ON
Serial: 80003304 MANUAL

WATER 82386476 18-427400 159 BEECHWOOD DR 1.000 S 5/8" 8/17/2017  ON

Serial: 82386476 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 70

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 18 - BOOK 18

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 80003302 18-427500 168 BEECHWOOD DR 1.000 S 5/8" 12/01/2016  ON
Serial: 80003302 MANUAL

WATER 67641179 18-427600 176 BEECHWOOD DR 1.000 S-P 5/8 1/01/2007 10/17/2007  ON
Serial: 67641179 MANUAL 1/01/2007

WATER 67641148 18-427700 186 BEECHWOOD DR 1.000 S-P 5/8 1/01/2007 10/17/2007  ON
Serial: 67641148 MANUAL 1/01/2007

WATER 67641147 18-427800 187 BEECHWOOD DR 1.000 S-P 5/8 1/01/2007 10/17/2007  ON
Serial: 67641147 MANUAL 1/01/2007

WATER 67641146 18-427900 190 BEECHWOOD DR 1.000 S-P 5/8 1/01/2007 10/17/2007  ON
Serial: 67641146 MANUAL 1/01/2007

WATER 67641145 18-428000 198 BEECHWOOD DR 1.000 S-P 5/8 1/01/2007 10/17/2007  ON
Serial: 67641145 MANUAL 1/01/2007

WATER 80003305 18-428005 205 BEECHWOOD DR 1.000 S 5/8" 12/01/2016  ON
Serial: 80003305 MANUAL

WATER 67641123 18-428100 208 BEECHWOOD DR 1.000 S-P 5/8 1/01/2007 10/18/2007  ON
Serial: 67641123 MANUAL 1/01/2007

WATER 67641124 18-428200 219 BEECHWOOD DR 1.000 S-P 5/8 1/01/2007 10/18/2007  ON
Serial: 67641124 MANUAL 1/01/2007

WATER 67641126 18-428500 163 FORESTON MANOR DR 1.000 S-P 5/8 1/01/2007 10/18/2007  ON
Serial: 67641126 MANUAL

WATER 70171482 18-428600 143 FORESTON MANOR DR 1.000 R-P 5/8 1/01/2009 4/30/2009  ON
Serial: 70171482 MANUAL 1/01/2009

WATER 70171481 18-428700 125 FORESTON MANOR DR 1.000 R-P 5/8 1/01/2009 4/30/2009  ON
Serial: 70171481 MANUAL 1/01/2009

WATER 71458558 18-428900 255 WINESAP RD 1.000 S 5/8" 7/29/2010  ON
Serial: 71458558 MANUAL

WATER 82386911 18-429000 239 WINESAP RD 1.000 s 5/8" 8/17/2017  ON
Serial: 82386911 MANUAL

WATER 82386910 18-429200 237 WINESAP RD 1.000 S 5/8" 8/17/2017  ON
Serial: 82386910 MANUAL

WATER 82386909 18-429300 229 WINESAP RD 1.000 S 5/8" 8/23/2017  ON
Serial: 82386909 MANUAL

WATER 82386906 18-429400 231 WINESAP RD 1.000 S 5/8" 8/23/2017  ON
Serial: 82386906 MANUAL

WATER 82386908 18-429500 221 WINESAP RD 1.000 S 5/8" 8/23/2017  ON
Serial: 82386908 MANUAL

WATER 67641122 18-429600 209 WINESAP RD 1.000 S-P 5/8 1/01/2007 10/18/2007  ON
Serial: 67641122 MANUAL 1/01/2007

WATER 67641155 18-429700 207 WINESAP RD 1.000 S-P 5/8 1/01/2007 10/18/2007  ON
Serial: 67641155 MANUAL 1/01/2007

WATER 67641192 18-429800 199 WINESAP RD 1.000 S-P 5/8 1/01/2007 10/30/2007  ON
Serial: 67641192 MANUAL 1/01/2007

WATER 82386907 18-430000 183 WINESAP RD 1.000 S 5/8" 8/23/2017  ON
Serial: 82386907 MANUAL

WATER 67640981 18-430100 177 WINESAP RD 1.000 S-P 5/8 1/01/2007 11/01/2007  ON
Serial: 67640981 MANUAL 1/01/2007

WATER 82386917 18-430205 132 BERKLEY PL 1.000 S 5/8" 8/23/2017  ON

Serial: 82386917 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 71
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 18 - BOOK 18
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 73987804 18-430210 145 WINESAP RD 1.000 S 5/8" 6/28/2012  ON
Serial: 73987804 MANUAL
WATER 67640964 18-430300 135 WINESAP RD 1.000 S-P 5/8 1/01/2007 9/27/2007  ON
Serial: 67640964 MANUAL 1/01/2007
WATER 82386916 18-430400 127 WINESAP RD 1.000 S 5/8" 8/23/2017  ON
Serial: 82386916 MANUAL
WATER 80003289 18-430500 117 WINESAP RD & 125 1.000 s 5/8" 1/17/2017  ON
Serial: 80003289 MANUAL
WATER 82386915 18-431000 2045 S COOLWELL RD 1.000 S 5/8" 8/23/2017  OFF
Serial: 82386915 1.000 MANUAL
WATER 82386912 18-431200 2035 S COOLWELL RD 1.000 S 5/8" 8/23/2017  ON
Serial: 82386912 MANUAL
WATER 86011849 18-431300 2027 S COOLWELL RD 1.000 S 5/8" 1/15/2020  ON
Serial: 86011849 MANUAL
WATER 70171280 18-431400 2017 S COOLWELL RD 1.000 S-P 5/8 1/01/2009 6/03/2009  ON
Serial: 70171280 MANUAL 1/01/2009
WATER 90301481 18-431402 28 PATRICK CT 1.000 S 5/8" 5/12/2023  ON
Serial: 90301481 MANUAL
WATER 90301548 18-431403 30 PATRICK CT 1.000 S 5/8" 8/11/2022  ON
Serial: 90301548 MANUAL
WATER 90301610 18-431404 34 PATRICK CT 1.000 S 5/8" 5/16/2024  ON
Serial: 90301610 MANUAL
WATER 71458528 18-431407 44 PATRICK CT 1.000 s 5/8" 11/15/2010  ON
Serial: 71458528 MANUAL
WATER 71458450 18-431408 20 VALLEYVIEW DR 1.000 S 5/8" 11/22/2010  ON
Serial: 71458450 MANUAL
WATER 84008091 18-431409 26 VALLEYVIEW DR 1.000 s 5/8" 11/16/2023  ON
Serial: 84008091 MANUAL
WATER 70171169 18-431411 36 VALLEYVIEW DR 1.000 S-P 5/8 1/01/2010 2/17/2010  ON
Serial: 70171169 MANUAL
WATER 86011664 18-431415 72 VALLEYVIEW DR 1.000 S 5/8" 5/14/2020  ON
Serial: 86011664 MANUAL
WATER 90301545 18-431416 78 VALLEYVIEW DR 1.000 S 5/8" 8/16/2022  ON
Serial: 90301545 MANUAL
WATER 71458557 18-431417 82 VALLEYVIEW DR 1.000 s 5/8" 12/21/2010  ON
Serial: 71458557 MANUAL
WATER 70171294 18-431418 88 VALLEYVIEW DR 1.000 S-P 5/8 1/01/2009 12/29/2009  ON
Serial: 70171294 MANUAL
WATER 70171503 18-431419 94 VALLEYVIEW DR 1.000 S-P 5/8 1/01/2009 11/05/2009  ON
Serial: 70171503 MANUAL
WATER 88239833 18-431420 91 VALLEYVIEW DR 1.000 S 5/8" 8/19/2020  ON
Serial: 88239833 MANUAL
WATER 88239805 18-431421 85 VALLEYVIEW DR 1.000 S 5/8" 6/09/2021  ON
Serial: 88239805 MANUAL
WATER 90301569 18-431422 81 VALLEYVIEW DR 1.000 s 5/8" 2/28/2022  ON
Serial: 90301569 MANUAL
WATER 86011835 18-431423 77 VALLEYVIEW DR 1.000 s 5/8" 7/01/2019  ON
Serial: 86011835 MANUAL





2/11/2026 12:43 PM

DT PURCHSED:
DT INSTALL:
DT REPAIR:
DT TESTED:
BOOK:

0/00/0000 TO 99/99/9999
1/01/1900 TO 2/11/2026
0/00/0000 TO 99/99/9999
0/00/0000 TO 99/99/9999

18 - BOOK 18

- METER GROUP - METER NO#

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

WATER

Serial:

WATER

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

ACCOUNT NO#

90301794 18-431425
90301794

88239860 18-431427
88239860

84008097 18-431428
84008097

71458509 18-431429
71458509

94814837 18-431430
94814837

90301460 18-431431
90301460

90301609 18-431432

88239783 18-431434
88239783

90301688 18-431435

84008107 18-431436
84008107

80003250 18-431437
80003250

90301518 18-431438
90301518

86011852 18-431439
86011852

84007917 18-431440
84007917

90301633 18-431441
90301633

88239837 18-431442
88239837

90301634 18-431443
90301634

90301407 18-431444
90301407

90301410 18-431445
90301410

90301791 18-431446
90301791

100933418 18-431449
100933418

90301691 18-431450
90301691

90301511 18-431451
90301511

90301423 18-431452
90301423

METER

————— SERVICE ADDRESS

--MXU ID--

67 VALLEYVIEW DR

37 VALLEYVIEW DR

27 VALLEYVIEW DR

19 VALLEYVIEW DR

48 PATRICK CT

50 PATRICK CT

52 PATRICK CT

64 PATRICK CT

72 PATRICK CT

78 PATRICK CT

86 PATRICK CT

92 PATRICK CT

89 PATRICK CT

77 PATRICK CT

71 PATRICK CT

67 PATRICK CT

65 PATRICK CT

63 PATRICK CT

61 PATRICK CT

59 PATRICK CT

LOT 10 PATRICK CT

51 PATRICK CT

49 PATRICK CT

45 PATRICK CT

REPORT PAGE : 72
SEQ :ACCOUNT
SIZE :All Sizes
MAKE :All Makes
—————— -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
1.000 S 5/8" 10/18/2021  ON
MANUAL
1.000 S 5/8" 7/19/2021  ON
MANUAL
1.000 S 5/8" 11/05/2019  ON
MANUAL
1.000 S 5/8" 9/07/2010 ON
MANUAL
1.000 S 5/8" 5/28/2025 ON
MANUAL
1.000 s 5/8" 10/17/2023  ON
MANUAL
1.000 S 5/8" 5/16/2024  ON
MANUAL
1.000 S 5/8" 8/12/2020  ON
MANUAL
1.000 S 5/8" 4/23/2024  ON
MANUAL
1.000 s 5/8" 8/20/2018 9/04/2018  ON
MANUAL
1.000 S 5/8" 5/01/2018 ON
MANUAL
1.000 s 5/8" 2/17/2022  ON
MANUAL
1.000 S 5/8" 7/22/2019  ON
MANUAL
1.000 S 5/8" 11/05/2019  ON
MANUAL
1.000 S 5/8" 11/08/2023  ON
MANUAL
1.000 S 5/8" 8/12/2020 ON
MANUAL
1.000 S 5/8" 11/08/2023 ON
MANUAL
1.000 S 5/8" 10/27/2021 ON
MANUAL
1.000 S 5/8" 10/26/2021  ON
MANUAL
1.000 S 5/8" 10/26/2021  ON
MANUAL
1.000 S-IPRL  5/8" 1/20/2026  ON
MANUAL
1.000 S 5/8" 6/13/2023 ON
MANUAL
1.000 S 5/8" 3/09/2023 ON
MANUAL
1.000 S 5/8" 2/05/2024 ON
MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 73

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 18 - BOOK 18

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 82386873 18-431453 47 PATRICK CT 1.000 S 5/8" 4/06/2018  ON
Serial: 82386873 MANUAL

WATER 82386587 18-431454 35 PATRICK CT 1.000 s 5/8" 4/10/2020  ON
Serial: 82386587 MANUAL

WATER 90301552 18-431455 33 PATRICK CT 1.000 S 5/8" 5/04/2022  ON
Serial: 90301552 MANUAL

WATER 90301550 18-431456 31 PATRICK CT 1.000 S 5/8" 5/02/2022  ON
Serial: 90301550 MANUAL

WATER 90301549 18-431457 29 PATRICK CT 1.000 S 5/8" 5/02/2022  ON
Serial: 90301549 MANUAL

WATER 90301551 18-431458 25 PATRICK CT 1.000 S 5/8" 5/17/2022  ON
Serial: 90301551 MANUAL

WATER 82386914 18-431500 2005 S COOLWELL RD 1.000 S 5/8" 8/23/2017  ON
Serial: 82386914 MANUAL

WATER 67640977 18-431600 1993 S COOLWELL RD 1.000 S-P 5/8 1/01/2007 11/01/2007  ON
Serial: 67640977 MANUAL 1/01/2007

WATER 67641235 18-431700 1979 S COOLWELL RD 1.000 S-P 1/01/2007 11/01/2007  ON
Serial: 67641235 MANUAL 1/01/2007

WATER 67641236 18-431800 1971 S COOLWELL RD 1.000 S-P 5/8 1/01/2007 11/01/2007  ON
Serial: 67641236 MANUAL 1/01/2007

WATER 67641288 18-431900 1963 S COOLWELL RD 1.000 S-P 5/8 1/01/2007 11/01/2007  OFF
Serial: 67641288 MANUAL 1/01/2007

WATER 67641215 18-432000 1953 S COOLWELL RD 1.000 S-P 5/8 1/01/2007 9/27/2007  ON
Serial: 67641215 MANUAL 1/01/2007

WATER 70171535 18-432100 1943 S COOLWELL RD 1.000 R-P 5/8 1/01/2009 5/06/2009  ON
Serial: 70171535 MANUAL 1/01/2009

WATER 56458097 18-432200 1935 S COOLWELL RD 1.000 R-P 5/8 1/01/2001 1/28/2004  OFF
Serial: 56458097 MANUAL 1/01/2001

WATER 86011848 18-432300 1923 S COOLWELL RD 1.000 S 5/8" 1/21/2020  ON
Serial: 86011848 MANUAL

WATER 96689080 18-432500 132 EASTVIEW DR 1.000 S-IPRL  5/8" 5/16/2025  ON
Serial: 96689080 MANUAL

WATER 73987993 18-432600 128 EASTVIEW DR 1.000 S 5/8" 8/08/2013  ON
Serial: 73987993 MANUAL

WATER 82386310 18-432700 142 EASTVIEW DR 1.000 S 5/8" 8/02/2017  ON
Serial: 82386310 MANUAL

WATER 67641243 18-432800 156 EASTVIEW DR 1.000 S-P 5/8 1/01/2007 9/25/2007  ON
Serial: 67641243 MANUAL 1/01/2007

WATER 67641245 18-432900 164 EASTVIEW DR 1.000 S-P 5/8 1/01/2007 9/25/2007  ON
Serial: 67641245 MANUAL 1/01/2007

WATER 67641244 18-433000 176 EASTVIEW DR 1.000 S-P 5/8 1/01/2007 9/25/2007  ON
Serial: 67641244 MANUAL 1/01/2007

WATER 82386311 18-433100 178 EASTVIEW DR 1.000 S 5/8" 8/02/2017  ON
Serial: 82386311 MANUAL

WATER 82386307 18-433125 115 PATRICK CT 1.000 S 5/8" 8/02/2017  ON
Serial: 82386307 MANUAL

WATER 67641241 18-433128 107 PATRICK CT 1.000 S-P 5/8 1/01/2007 9/26/2007  ON

Serial: 67641241 MANUAL 1/01/2007





2/11/2026 12:43 PM METER REPORT PAGE : 74
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT

DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes

DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999

BOOK: 18 - BOOK 18
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

67641203
67641203
86011747
86011747
67641242
67641242
67641043
67641043
70171532
70171532
86011819
86011819
67641048
67641048
67641045
67641045
67641202
67641202
82386631
82386631
67641200
67641200
67641165
67641165
67641166
67641166
70171533A
70171533
82386309
82386309
82386308
82386308
67641047
67641047
67641204
67641204
67641046
67641046
67641201
67641201
67641167
67641167
67641168
67641168
67641164
67641164
67641044
67641044

18-433130

18-433135

18-433203

18-433205

18-433206

18-433207

18-433208

18-433209

18-433210

18-433211

18-433212

18-433213

18-433214

18-433215

18-433216

18-433217

18-433219

18-433220

18-433221

18-433222

18-433223

18-433224

18-433290

18-433300

103

140

117

113

120

126

130

138

198

PATRICK CT 1

PATRICK CT 2

PATRICK CT

HOLIDAY DR

VALLEYVIEW DR

VALLEYVIEW DR

VALLEYVIEW DR

VALLEYVIEW DR

VALLEYVIEW DR

VALLEYVIEW DR

VALLEYVIEW DR

VALLEYVIEW DR

VALLEYVIEW DR

VALLEYVIEW DR

VALLEYVIEW DR

VALLEYVIEW DR

PATRICK CT

PATRICK CT

PATRICK CT

PATRICK CT

PATRICK CT

PATRICK CT

EASTVIEW DR

EASTVIEW DR

S-P
MANUAL
S
MANUAL
S-P
MANUAL
S-P
MANUAL
R-P
MANUAL
S
MANUAL
S-P
MANUAL
S-P
MANUAL
S-P
MANUAL
S
MANUAL
S-P
MANUAL
S-P
MANUAL
S-P
MANUAL
R-P
MANUAL
S
MANUAL

MANUAL
S-P
MANUAL
S-P
MANUAL
S-P
MANUAL
S-P
MANUAL
S-P
MANUAL
S-P
MANUAL
S-P
MANUAL
S-P
MANUAL

5/8"

5/8"

1/01/2007

1/01/2007

1/01/2007

1/01/2009

1/01/2007

1/01/2007

1/01/2007

1/01/2007

1/01/2007

1/01/2007

1/01/2009

1/01/2007

1/01/2007

1/01/2007

1/01/2007

1/01/2007

1/01/2007

1/01/2007

1/01/2007

9/26/2007
1/01/2007
7/22/2019

9/25/2007
1/01/2007
9/26/2007
1/01/2007
5/04/2009
1/01/2009
5/16/2019

9/26/2007
1/01/2007
9/26/2007
1/01/2007
9/26/2007
1/01/2007
5/15/2017

9/26/2007
1/01/2007
9/26/2007
1/01/2007
9/26/2007
1/01/2007
5/06/2009
1/01/2009
8/02/2017

8/02/2017

9/26/2007
1/01/2007
9/26/2007
1/01/2007
9/26/2007
1/01/2007
9/26/2007
1/01/2007
9/26/2007
1/01/2007
9/26/2007
1/01/2007
9/26/2007
1/01/2007
9/26/2007
1/01/2007

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON





2/11/2026 12:43 PM METER REPORT PAGE : 75

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 18 - BOOK 18

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 67641163 18-433400 210 EASTVIEW DR 1.000 S-P 5/8 1/01/2007 9/26/2007  ON
Serial: 67641163 MANUAL 1/01/2007

WATER 84007992 18-433900 216 EASTVIEW DR 1.000 s 5/8" 10/29/2018  ON
Serial: 84007992 MANUAL

WATER 82386862 18-434000 228 EASTVIEW DR 1.000 S 5/8" 8/02/2017  ON
Serial: 82386862 MANUAL

WATER 70171340 18-434110 246 EASTVIEW DR 1.000 S-P 5/8 1/01/2009 6/03/2009  ON
Serial: 70171340 MANUAL 1/01/2009

WATER 88239928 18-434143 274 EASTVIEW DR 1.000 S 5/8" 9/24/2020  ON
Serial: 88239928 MANUAL

WATER 86011783 18-434144 280 EASTVIEW DR 1.000 S 5/8" 5/29/2019 ON
Serial: 86011783 MANUAL

WATER 88239923 18-434145 292 EASTVIEW DR 1.000 S 5/8" 9/24/2020  ON
Serial: 88239923 MANUAL

WATER 67641181 18-434146 310 EASTVIEW DR 1.000 S-P 5/8 1/01/2008 1/29/2008  ON
Serial: 67641181 MANUAL 1/01/2008

WATER 67641212 18-434147 316 EASTVIEW DR 1.000 S-P 5/8 1/01/2007 9/27/2007  ON
Serial: 67641212 MANUAL 1/01/2007

WATER 67641213 18-434148 322 EASTVIEW DR 1.000 S-P 5/8 1/01/2007 9/27/2007  ON
Serial: 67641213 MANUAL 1/01/2007

WATER 70171630 18-434150 461 EASTVIEW DR 1.000 S-P 5/8 1/01/2009 2/25/2009  ON
Serial: 70171630 MANUAL 1/01/2009

WATER 82386831 18-434151 464 EASTVIEW DR 1.000 S 5/8" 8/03/2017 ON
Serial: 82386831 MANUAL

WATER 67641184 18-434152 452 EASTVIEW DR 1.000 S-P 5/8 1/01/2008 1/29/2008  ON
Serial: 67641184 MANUAL 1/01/2008

WATER 84008005 18-434153 427 EASTVIEW DR 1.000 s 5/8" 2/26/2018  ON
Serial: 84008005 MANUAL

WATER 88239925 18-434154 414 EASTVIEW DR 1.000 S 5/8" 9/24/2020  ON
Serial: 88239925 MANUAL

WATER 70171368 18-434155 407 EASTVIEW DR 1.000 S-P 5/8 1/01/2009 2/25/2009  ON
Serial: 70171368 MANUAL 1/01/2009

WATER 88239926 18-434156 398 EASTVIEW DR 1.000 S 5/8" 9/24/2020  ON
Serial: 88239926 MANUAL

WATER 82386736 18-434158 371 EASTVIEW DR 1.000 S 5/8" 8/03/2017 ON
Serial: 82386736 MANUAL

WATER 82386828 18-434159 345 EASTVIEW DR 1.000 S 5/8" 8/03/2017  ON
Serial: 82386828 MANUAL

WATER 90301517 18-434160 340 EASTVIEW DR 1.000 S 5/8" 1/12/2022  ON
Serial: 90301517 MANUAL

WATER 67641183 18-434161 321 EASTVIEW DR 1.000 S-P 5/8 1/01/2008 1/29/2008  ON
Serial: 67641183 MANUAL 1/01/2008

WATER 88239924 18-434162 303 EASTVIEW DR 1.000 S 5/8" 9/24/2020  ON
Serial: 88239924 MANUAL

WATER 70171365 18-434175 301 EASTVIEW DR 1.000 S-P 5/8 1/01/2009 2/25/2009  ON
Serial: 70171365 MANUAL 1/01/2009

WATER 70171552 18-434176 305 EASTVIEW DR 1.000 S-P 5/8 1/01/2009 2/25/2009  ON

Serial: 70171552 MANUAL 1/01/2009





2/11/2026 12:43 PM METER REPORT PAGE : 76
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT

DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes

DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999

BOOK: 18 - BOOK 18
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

73987905
73987905
88239909
88239909
67641211
67641211
67641186
67641186
71032128
71032128
67641216
67641216
82386737
82386737
90301471
90301471
67640961
67640961
67640959
67640959
67641214
67641214
82386732
82386732
67640960
67640960
90301645
90301645
67640963
67640963
73987992
73987992
67641541
67641541
54773421
54773421
84008049
84008049
86011782
86011782
63056513
63056513
88239795
88239795
67641305
67641305
63056472
63056472

18-434180

18-434200

18-434210

18-434215

18-434217

18-434220

18-434500

18-434800

18-435100

18-435200

18-435220

18-435240

18-435260

18-435280

18-435285

18-435290

18-435295

18-435319

18-435320

18-435700

18-435701

18-435895

18-435898

18-435900

291 EASTVIEW DR

283 EASTVIEW DR

275 EASTVIEW DR

261 EASTVIEW DR

249 EASTVIEW DR

237 EASTVIEW DR

213 EASTVIEW DR

201 EASTVIEW DR

185 EASTVIEW DR

159 EASTVIEW DR

126 GARTEN PL

146 GARTEN PL

147 GARTEN PL

131 GARTEN PL

137 EASTVIEW DR

121 EASTVIEW DR

119 EASTVIEW DR

1755 S COOLWELL RD

1757 s COOLWELL RD

128 POSSUM ISLAND RD

1539 S COOLWELL RD

334 POSSUM ISLAND RD

309 POSSUM ISLAND RD

289 POSSUM ISLAND RD

1.000
1.000
1.000

MANUAL
S
MANUAL
S-P
MANUAL
S-P
MANUAL
S-P
MANUAL
S-P
MANUAL
S
MANUAL
S
MANUAL
S-P
MANUAL
S-P
MANUAL
S-P
MANUAL
S
MANUAL
S-P
MANUAL
S
MANUAL
S-P
MANUAL

MANUAL
S-P
MANUAL
S-P
MANUAL
S
MANUAL
S
MANUAL
S-P
MANUAL
S
MANUAL
S-P
MANUAL
S-P
MANUAL

5/8"

5/8"

5/8"

5/8"

1/15/2015

1/01/2007

1/01/2008

1/01/2010

1/01/2007

1/01/2007

1/01/2007

1/01/2007

1/01/2007

1/01/2007

1/01/2007

1/01/2006

1/01/2007

1/01/2006

1/15/2015

9/24/2020

9/27/2007
1/01/2007
1/29/2008
1/01/2008
3/10/2010
1/01/2010
9/27/2007
1/01/2007
8/03/2017

9/13/2023

9/27/2007
1/01/2007
9/27/2007
1/01/2007
9/27/2007
1/01/2007
8/03/2017

9/27/2007

1/01/2007

11/18/2022

9/27/2007

1/01/2007

8/08/2013

9/19/2007

1/01/2007

7/16/1999

9/18/2018

5/29/2019

3/20/2006

3/04/2021

8/30/2007

8/16/2006
1/01/2006

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

OFF

ON

ON

ON

ON

ON





2/11/2026 12:43 PM METER REPORT PAGE : 77
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT

DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes

DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999

BOOK: 18 - BOOK 18
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

88239910
88239910
66213676
66213676
80002888
80002888
63056506
63056506
80002910
80002910
84007936
84007936
90301418
90301418
90301725
90301725
90301616
90301616
90301615
90301615
90301618
90301618
82386830
82386830
90301419
90301419
90301612
90301612
70171513
70171513
66510716
66510716
63056509
63056509
63056498
63056498
63056471
63056471
88239929
88239929
86011779
86011779
67412637
67412637
88239908
88239908
71032053

18-436000

18-436001

18-436020

18-436025

18-436030

18-436035

18-436038

18-436040

18-436297

18-436298

18-436299

18-436300

18-436302

18-436303

18-436304

18-436371

18-436372

18-436373

18-436374

18-436375

18-436376

18-436377

18-436378

18-436379

119 POSSUM ISLAND RD

106 CHILTON LN

1405 S COOLWELL RD

1419 S COOLWELL RD

1395 S COOLWELL RD

1449 S COOLWELL ROAD

1453 S COOLWELL RD

1337 S COOLWELL RD

1340 S COOLWELL RD

1344 S COOLWELL RD

1346 S COOLWELL RD

1358 S COOLWELL RD

1360 S COOLWELL RD

1362 S COOLWELL RD

1364 S COOLWELL RD

392 BRUNER RD

130 OAKVIEW DR

138 OAKVIEW DR

146 OAKVIEW DR

150 OAKVIEW DR

156 OAKVIEW DR

160 OAKVIEW DR

166 OAKVIEW DR

170 OAKVIEW DR

1.000
1.000
1.000

MANUAL
S-P
MANUAL
S
MANUAL
S-P
MANUAL

MANUAL
S
MANUAL
S
MANUAL
S
MANUAL

MANUAL

MANUAL

MANUAL
S
MANUAL
S
MANUAL
S
MANUAL
S-P
MANUAL
S-P
MANUAL
S-P
MANUAL
S-P
MANUAL
S-P
MANUAL
S
MANUAL

MANUAL
S-P
MANUAL

MANUAL
S
MANUAL

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

1/01/2007

5/14/2018

1/01/2006

1/01/2009

1/01/2006

1/01/2006

1/01/2006

1/01/2006

1/01/2007

9/24/2020

1/16/2007

5/31/2018

1/30/2006

5/31/2016

12/03/2018

5/02/2024

12/14/2022

8/12/2024

8/12/2024

8/12/2024

8/03/2017

5/17/2024

5/17/2024

4/29/2009

10/10/2006

7/17/2006

4/11/2006

8/08/2006

3/10/2021

5/29/2019

4/09/2007

9/24/2020

5/13/2010

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

OFF

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON





2/11/2026 12:43 PM METER REPORT PAGE : 78

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 18 - BOOK 18

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 90301746 18-436380 176 OAKVIEW DR 1.000 S 5/8" 4/20/2022  ON
Serial: 90301746 MANUAL

WATER 66510683 18-436382 180 OAKVIEW DR 1.000 S-P 5/8 1/01/2006 8/29/2006  ON
Serial: 66510683 MANUAL

WATER 88239905 18-436383 175 OAKVIEW DR 1.000 S 5/8" 9/24/2020  ON
Serial: 88239905 MANUAL

WATER 67641077 18-436386 171 OAKVIEW DR 1.000 S-P 5/8 1/01/2007 12/09/2007  ON
Serial: 67641077 MANUAL

WATER 70171295 18-436387 446 BRUNER RD 1.000 S-P 5/8 1/01/2009 12/28/2009  ON
Serial: 70171295 MANUAL

WATER 67641447 18-436388 169 OAKVIEW DR 1.000 S-P 5/8 1/01/2007 7/30/2007  ON
Serial: 67641447 MANUAL

WATER 63056573 18-436390 167 OAKVIEW DR 1.000 s-P 5/8 1/01/2006 7/05/2006  ON
Serial: 63056573 MANUAL

WATER 75618814 18-436391 161 OAKVIEW DR 1.000 s 5/8" 11/19/2013  ON
Serial: 75618814 MANUAL

WATER 88239906 18-436392 137 OAKVIEW DR 1.000 S 5/8" 9/29/2020  ON
Serial: 88239906 MANUAL

WATER 68691838 18-436393 131 OAKVIEW DR 1.000 S-P 5/8 1/01/2008 12/09/2008  ON
Serial: 68691838 MANUAL

WATER 68692015 18-436394 123 OAKVIEW DR 1.000 S-P 5/8 1/01/2008 4/09/2008  ON
Serial: 68692015 MANUAL 1/01/2008

WATER 67641307 18-436395 119 OAKVIEW DR 1.000 S-P 5/8 1/01/2007 10/31/2007  ON
Serial: 67641307 MANUAL

WATER 86011666 18-436396 486 BRUNER RD 1.000 S 5/8" 9/04/2019  ON
Serial: 86011666 MANUAL

WATER 73987803 18-436492 1558 S COOLWELL RD 1.000 S 5/8" 6/28/2012  ON
Serial: 73987803 MANUAL

WATER 73987807 18-436495 1588 S COOLWELL RD 1.000 S 5/8" 6/28/2012  ON
Serial: 73987807 MANUAL

WATER 54578702 18-436500 119 BRUNER RIDGE RD 1.000 S-P 5/8 1/01/1999 11/07/2000  ON
Serial: 54578702 MANUAL

WATER 54578655 18-436510 543 ROTHWOOD RD 1.000 S-P 5/8 1/01/1999 11/07/2000  ON
Serial: 54578655 MANUAL

WATER 63056476 18-436530 507 ROTHWOOD RD 1.000 S-P 5/8 1/01/2006 8/28/2006  ON
Serial: 63056476 MANUAL

WATER 66213677 18-436538 449 ROTHWOOD RD 1.000 S-P 5/8 1/01/2007 12/18/2006  ON
Serial: 66213677 MANUAL

WATER 88239888 18-436539 439 ROTHWOOD RD 1.000 S 5/8" 9/29/2020  ON
Serial: 88239888 MANUAL

WATER 86011778 18-436540 435 ROTHWOOD RD 1.000 S 5/8" 5/29/2019  ON
Serial: 86011778 MANUAL

WATER 88239756 18-436545 421 ROTHWOOD RD 1.000 s 5/8" 4/01/2021  ON
Serial: 88239756 MANUAL

WATER 71032080 18-436551 411 ROTHWOOD RD 1.000 S-P 5/8 1/01/2010 3/10/2010  ON
Serial: 71032080 MANUAL 1/01/2010

WATER 70171290 18-436552 395 ROTHWOOD RD 1.000 S-P 5/8 1/01/2010 2/23/2010  ON

Serial: 70171290 MANUAL 1/01/2010





2/11/2026 12:43 PM METER REPORT PAGE : 79

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 18 - BOOK 18

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 53767094 18-436685 341 ROTHWOOD RD 1.000 S-P 1/01/2006 9/19/2006  ON
Serial: 53767094 MANUAL

WATER 73681714 18-436690 315 ROTHWOOD RD 1.000 S 5/8" 5/14/2012  ON
Serial: 73681714 MANUAL

WATER 54578816 18-436695 303 ROTHWOOD RD 1.000 S-P 5/8 1/01/1998 2/24/2000  ON
Serial: 54578816 MANUAL

WATER 73987988 18-436700 287 ROTHWOOD RD 1.000 S 5/8" 8/08/2013  ON
Serial: 73987988 MANUAL

WATER 86011780 18-436702 275 ROTHWOOD RD 1.000 S 5/8" 5/29/2019  ON
Serial: 86011780 MANUAL

WATER 73987917 18-436735 184 ROTHWOOD RD 1.000 s 5/8" 10/22/2012  ON
Serial: 73987917 MANUAL

WATER 73681739 18-436740 188 ROTHWOOD RD 1.000 S 5/8" 5/01/2013  ON
Serial: 73681739 MANUAL

WATER 72853898 18-436745 216 ROTHWOOD RD 1.000 S 5/8" 7/14/2011  ON

MANUAL

WATER 60181359 18-436750 258 ROTHWOOD RD 1.000 S-P 5/8 1/01/2004 0/00/2000  ON
Serial: 60181359 MANUAL

WATER 88239802 18-436751 270 ROTHWOOD RD 1.000 S 5/8" 9/29/2020  ON
Serial: 88239802 MANUAL

WATER 71032152 18-436755 272 ROTHWOOD RD 1.000 S-P 5/8 1/01/2010 4/12/2010  ON
Serial: 71032152 MANUAL

WATER 71458454 18-436760 274 ROTHWOOD RD 1.000 s 5/8" 1/27/2011  ON
Serial: 71458454 MANUAL

WATER 90301815 18-436840 390 ROTHWOOD RD 1.000 S 5/8" 7/18/2022  ON
Serial: 90301815 MANUAL

WATER 73987806 18-436852 436 ROTHWOOD RD 1.000 S 5/8" 6/28/2012  ON
Serial: 73987806 MANUAL

WATER 70171597 18-436865 474 ROTHWOOD RD 1.000 S-P 5/8 1/01/2009 6/03/2009  ON
Serial: 70171597 MANUAL 1/01/2009

WATER 80003385 18-437100 1650 S COOLWELL RD 1.000 S 5/8" 12/05/2017 ON
Serial: 80003385 MANUAL

WATER 68691857 18-437200 1692 S COOLWELL RD 1.000 S-P 5/8 1/01/2008 5/27/2008  ON
Serial: 68691857 MANUAL

WATER 67641083 18-437300 1818 S COOLWELL RD 1.000 S-P 5/8 1/01/2007 10/16/2007  ON
Serial: 67641083 MANUAL 1/01/2007

WATER 88239754 18-437302 1826 COOLWELL RD 1.000 S 5/8" 10/21/2020  ON
Serial: 88239754 MANUAL

WATER 67641158 18-437310 1840 S COOLWELL RD DUPLEX 1.000 S-P 5/8 1/01/2007 10/16/2007  ON
Serial: 67641158 MANUAL 1/01/2007

WATER 67641157 18-437314 1860 S COOLWELL RD 1.000 S-P 5/8 1/01/2007 10/16/2007  ON
Serial: 67641157 MANUAL 1/01/2007

WATER 67641159 18-437315 1866 S COOLWELL RD 1.000 S-P 5/8 1/01/2007 10/16/1970  ON
Serial: 67641159 MANUAL 1/01/2007

WATER 67641160 18-437320 1910 S COOLWELL RD 1.000 S-P 1/01/2007 10/16/2007  ON
Serial: 67641160 MANUAL 1/01/2007

WATER 67641162 18-437321 1920 S COOLWELL RD 1.000 S-P 5/8 1/01/2007 10/16/2007  ON

Serial: 67641162 MANUAL 1/01/2007





2/11/2026 12:43 PM METER REPORT PAGE : 80
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT

DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes

DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999

BOOK: 18 - BOOK 18
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
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2/11/2026 12:43 PM METER REPORT PAGE : 81

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 18 - BOOK 18

————— SERVICE ADDRESS ------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 80003288 18-437360 1928 s COOLWELL RD 1.000 S 5/8" 12/01/2016 ON

Serial: 80003288 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 82
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 19 - BOOK 19
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 67641161 19-437405 1936 S COOLWELL RD 1.000 S-P 5/8 1/01/2007 10/16/2007  ON
Serial: 67641161 MANUAL 1/01/2007
WATER 80003284 19-437410 1944 S COOLWELL RD 1.000 S 5/8" 12/01/2016  ON

Serial: 80003284 MANUAL
WATER 82386781 19-437500 1956 S COOLWELL RD 1.000 S 5/8" 8/17/2017  ON
Serial: 82386781 MANUAL
WATER 80003286 19-437600 1964 S COOLWELL RD 1.000 S 5/8" 12/31/2016 ON
Serial: 80003286 MANUAL
WATER 82386785 19-437700 1970 S COOLWELL RD 1.000 S 5/8" 8/17/2017  ON
Serial: 82386785 MANUAL
WATER 67641082 19-437800 1976 S COOLWELL RD 1.000 S-P 5/8 1/01/2007 10/16/2007  ON
Serial: 67641082 MANUAL 1/01/2007
WATER 82386782 19-437900 1996 S COOLWELL RD 1.000 S 5/8" 8/17/2017  ON
Serial: 82386782 MANUAL
WATER 82386780 19-438000 263 CRESCENT LN 1.000 S 5/8" 8/17/2017  ON
Serial: 82386780 MANUAL
WATER 68691932 19-438100 261 CRESCENT LN 1.000 S-P 5/8 1/01/2009 1/28/2009  ON
Serial: 68691932 MANUAL 1/01/2009
WATER 71032086 19-438110 259 CRESCENT LN 1.000 S-P 5/8 1/01/2010 2/25/2010  ON
Serial: 71032086 MANUAL 1/01/2010
WATER 71032087 19-438115 251 CRESCENT LN 1.000 S-P 5/8 1/01/2010 2/25/2010  ON
Serial: 71032087 MANUAL 1/01/2010
WATER 72853887 19-438120 245 CRESCENT LN 1.000 s 5/8" 4/07/2011  ON
Serial: 72853887 MANUAL
WATER 67641080 19-438300 229 CRESCENT LN 1.000 S-P 5/8 1/01/2007 10/16/2007  ON
Serial: 67641080 MANUAL 1/01/2007
WATER 67641141 19-438500 211 CRESCENT LN 1.000 S-P 5/8 1/01/2007 10/03/2007  ON
Serial: 67641141 MANUAL 1/01/2007
WATER 67641142 19-438800 205 CRESCENT LN 1.000 S-P 5/8 1/01/2007 10/03/2007  ON
Serial: 67641142 MANUAL 1/01/2007
WATER 67641249 19-438900 203 CRESCENT LN 1.000 S-P 5/8 1/01/2007 10/03/2007  ON
Serial: 67641249 MANUAL 1/01/2007
WATER 68691933 19-439000 195 CRESCENT LN 1.000 S-P 5/8 1/01/2009 1/28/2009 ON
Serial: 68691933 MANUAL 1/01/2009
WATER 67641445 19-439010 169 CRESCENT LN 1.000 S-P 5/8 1/01/2007 5/21/2007  ON
Serial: 67641445 MANUAL
WATER 70171170 19-439014 157 CRESCENT LN 1.000 s-P 5/8 1/01/2010 2/16/2010  ON
Serial: 70171170 MANUAL
WATER 68692012 19-439015 151 CRESCENT LN 1.000 S-P 5/8 1/01/2008 4/23/2008  ON
Serial: 68692012 MANUAL
WATER 68692100 19-439016 145 CRESCENT LN 1.000 S-P 5/8 1/01/2008 7/22/2008  ON
Serial: 68692100 MANUAL
WATER 67641247 19-439100 129 CRESCENT LN 1.000 S-P 5/8 1/01/2007 10/03/2007  ON
Serial: 67641247 MANUAL 1/01/2007
WATER 90301715 19-439200 125 CRESCENT LN 1.000 s 5/8" 11/02/2022  ON
MANUAL
WATER 82386808 19-439300 117 CRESCENT LN 1.000 S 5/8" 8/17/2017  ON
Serial: 82386808 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 83
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 19 - BOOK 19
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 67641250 19-439400 184 CRESCENT LN 1.000 S-P 5/8 1/01/2007 10/03/2007  ON
Serial: 67641250 MANUAL 1/01/2007
WATER 82386809 19-439600 196 CRESCENT LN 1.000 S 5/8" 8/17/2017  ON
Serial: 82386809 MANUAL

WATER 66213915 19-439700 208 CRESCENT LN 1.000 S-P 5/8 1/01/2006 2/24/2006  ON
Serial: 66213915 MANUAL 1/01/2006

WATER 67641026 19-439800 216 CRESCENT LN 1.000 S-P 5/8 1/01/2007 9/27/2007  ON
Serial: 67641026 MANUAL 1/01/2007

WATER 68691836 19-439801 226 CRESCENT LN 1.000 S-P 5/8 1/01/2008 12/09/2008  ON
Serial: 68691836 MANUAL

WATER 90301445 19-439900 244 CRESCENT LN 1.000 S 5/8" 9/09/2021  ON
Serial: 90301445 MANUAL

WATER 80003404 19-440000 228 CRESCENT LN 1.000 S 5/8" 11/16/2016 11/16/2016  ON
Serial: 80003404 MANUAL

WATER 67640964A 19-440300 262 CRESCENT LN 1.000 S-P 5/8 1/01/2007 9/27/2007  ON
Serial: 67640964 MANUAL 1/01/2007

WATER 67641251 19-440400 266 CRESCENT LN 1.000 S-P 5/8 1/01/2007 10/03/2007  ON
Serial: 67641251 MANUAL 1/01/2007

WATER 80003285 19-440500 270 CRESCENT LN 1.000 s 5/8" 12/01/2016  OFF
Serial: 80003285 1.000 MANUAL

WATER 67641252 19-440600 252 CRESCENT LN 1.000 S-P 5/8 1/01/2007 10/03/2007  ON
Serial: 67641252 MANUAL 1/01/2007

WATER 67640975 19-440700 2018 S COOLWELL RD 1.000 S-P 5/8 1/01/2007 10/29/2007  ON
Serial: 67640975 MANUAL 1/01/2007

WATER 82386806 19-440800 2024 S COOLWELL RD 1.000 S 5/8" 8/17/2017  ON
Serial: 82386806 MANUAL

WATER 100933440 19-440900 2040 S COOLWELL RD 1.000 S-IPRL  5/8" 11/07/2025  ON
Serial: 100933440 MANUAL

WATER 82386804 19-441000 2032 S COOLWELL RD 1.000 S 5/8" 8/17/2017  ON
Serial: 82386804 MANUAL

WATER 82386805 19-441500 3577 S AMHERST HWY 1.000 S 5/8" 8/17/2017  ON
Serial: 82386805 MANUAL

WATER 82386807 19-441600 250 CRESCENT LN 1.000 S 5/8" 8/17/2017  ON
Serial: 82386807 MANUAL

WATER 67640972 19-441700 3561 S AMHERST HWY 1.000 S-P 5/8 1/01/2007 10/29/2007  ON
Serial: 67640972 MANUAL 1/01/2007

WATER 48547625 19-441800 3549 S AMHERST HWY 1.000 S-P 5/8 1/01/2009 8/10/1994  ON
Serial: 48547625 MANUAL 1/01/2009

WATER 80003287 19-442000 3533 S AMHERST HWY 1.000 s 5/8" 12/01/2016  ON
Serial: 80003287 MANUAL

WATER 80003246 19-442100  3519/3521 S AMHERST HWY 1.000 S 5/8" 12/01/2016  ON
Serial: 80003246 MANUAL

WATER 86011728 19-442300 170 CRESCENT LN 1.000 s 5/8" 11/13/2019  OFF
Serial: 86011728 1.000 MANUAL

WATER 80003245 19-442400 168 CRESCENT LN 1.000 s 5/8" 12/01/2016  ON
Serial: 80003245 MANUAL

WATER 82386795 19-442500 162 CRESCENT LN 1.000 S 5/8" 8/17/2017  ON
Serial: 82386795 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 84

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 19 - BOOK 19

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 67640974 19-443000 3490 S AMHERST HWY 1.000 S-P 5/8 1/01/2007 10/29/2007  ON
Serial: 67640974 MANUAL 1/01/2007

WATER 73987770 19-443400 3500 S AMHERST HWY 1.000 s 5/8" 7/24/2012  ON
Serial: 73987770 MANUAL

WATER 59295954 19-459900 105 CRESCENT LN 1.000 S-P 5/8 1/01/2002 0/00/2000  OFF
Serial: 59295954 MANUAL 1/01/2002

WATER 82386797 19-460000 3413 S AMHERST HWY 1.000 S 5/8" 8/17/2017  ON
Serial: 82386797 MANUAL

WATER 88239947 19-460100 3403 S AMHERST HWY 1.000 S 5/8" 6/07/2021  ON
Serial: 88239947 MANUAL

WATER 67640980 19-460200 3395 S AMHERST HWY 1.000 S-P 5/8 1/01/2007 0/00/2000  ON
Serial: 67640980 MANUAL 1/01/2007

WATER 67640973 19-461300 3311 S AMHERST HWY 1.000 S-P 5/8 1/01/2007 10/29/2007  ON
Serial: 67640973 MANUAL 1/01/2007

WATER 67641294 19-461340 130 ROTHWOOD RD 1.000 S-P 5/8 1/01/2007 10/30/2007  ON
Serial: 67641294 MANUAL

WATER 82386793 19-461500 140 COOLIDGE LN 1.000 S 5/8" 8/17/2017  ON
Serial: 82386793 MANUAL

WATER 75618784 19-461648 149 COOLIDGE LN 1.000 s 5/8" 12/30/2013  ON
Serial: 75618784 MANUAL

WATER 75618787 19-461649 147 COOLIDGE LN 1.000 s 5/8" 12/30/2013  ON
Serial: 75618787 MANUAL

WATER 73681814 19-461650 143 COOLIDGE LN 1.000 S 5/8" 9/20/2012  ON
Serial: 73681814 MANUAL

WATER 73681830 19-461651 141 COOLIDGE LN 1.000 S 5/8" 9/20/2012  ON
Serial: 73681830 MANUAL

WATER 73681832 19-461652 139 COOLIDGE LN 1.000 S 5/8" 9/20/2012  ON
Serial: 73681832 MANUAL

WATER 67641112 19-462601 174 MELODY LN 1.000 S-P 5/8 1/01/2007 10/24/2007  ON
Serial: 67641112 MANUAL 1/01/2007

WATER 67641008 19-463500 116 DAFFODIL LN 1.000 S-P 5/8 1/01/2007 11/01/2007  ON
Serial: 67641008 MANUAL 1/01/2007

WATER 68691936 19-463550 121 DAFFODIL LN 1.000 S-P 1/01/2009 1/28/2009  ON
Serial: 68691936 MANUAL 1/01/2009

WATER 67641185 19-463551 115 DAFFODIL LN 1.000 S-P 5/8 1/01/2008 1/29/2008  ON
Serial: 67641185 MANUAL 1/01/2008

WATER 82386924 19-463700 501 S FIVE FORKS RD 1.000 S 5/8" 8/17/2017  OFF
Serial: 82386924 1.000 MANUAL

WATER 71032090 19-463800 485 S FIVE FORKS RD 1.000 S-P 5/8 1/01/2010 2/25/2010  ON
Serial: 71032090 MANUAL 1/01/2010

WATER 80002966 19-463900 469 S FIVE FORKS RD 1.000 S 5/8" 11/14/2017  ON
Serial: 80002966 MANUAL

WATER 67641285 19-464000 459 S FIVE FORKS RD 1.000 S-P 5/8 1/01/2007 11/01/2007  ON
Serial: 67641285 MANUAL 1/01/2007

WATER 67641284 19-464100 437 S FIVE FORKS RD 1.000 S-P 5/8 1/01/2007 11/01/2007  ON
Serial: 67641284 MANUAL 1/01/2007

WATER 67641086 19-464400 413 S FIVE FORKS RD 1.000 S-P 5/8 1/01/2007 11/01/2007  ON

Serial: 67641086 MANUAL 1/01/2007





2/11/2026 12:43 PM METER REPORT PAGE : 85

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 19 - BOOK 19

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 68691926 19-464700 385 S FIVE FORKS RD 1.000 S-P 5/8 1/01/2009 1/29/2009  ON
Serial: 68691926 MANUAL 1/01/2009

WATER 67641089 19-464900 327 S FIVE FORKS RD 1.000 S-P 5/8 1/01/2007 11/01/2007  ON
Serial: 67641089 MANUAL 1/01/2007

WATER 67641087 19-465000 309 N FIVE FORKS RD 1.000 S-P 5/8 1/01/2007 11/01/2007  ON
Serial: 67641087 MANUAL 1/01/2007

WATER 67641090 19-465100 307 N FIVE FORKS RD 1.000 S-P 5/8 1/01/2007 11/01/2007 ON
Serial: 67641090 MANUAL 1/01/2007

WATER 67641195 19-465200 287 N FIVE FORKS RD 1.000 S-P 5/8 1/01/2007 11/01/2007  ON
Serial: 67641195 MANUAL 1/01/2007

WATER 67641650 19-465300 273 N FIVE FORKS RD 1.000 S-P 5/8 1/01/2007 4/26/2007  ON
Serial: 67641650 MANUAL 1/01/2007

WATER 67641520 19-465400 267 N FIVE FORKS RD 1.000 s-P 5/8 1/01/2007 4/19/2007  ON
Serial: 67641520 MANUAL 1/01/2007

WATER 67641653 19-465500 261 N FIVE FORKS RD 1.000 S-P 5/8 1/01/2007 4/19/2007  ON
Serial: 67641653 MANUAL 1/01/2007

WATER 67641518 19-465600 142 NED BROWN RD 1.000 S-P 5/8 1/01/2007 4/19/2007  ON
Serial: 67641518 MANUAL 1/01/2007

WATER 67641519 19-465601 154 NED BROWN RD 1.000 S-P 5/8 1/01/2007 4/19/2007  ON
Serial: 67641519 MANUAL 1/01/2007

WATER 67641522 19-465602 160 NED BROWN RD 1.000 S-P 5/8 1/01/2007 4/19/2007  ON
Serial: 67641522 MANUAL 1/01/2007

WATER 88239778 19-465603 159 NED BROWN RD 1.000 s 5/8" 1/31/2022  ON
Serial: 88239778 MANUAL

WATER 67641517 19-465607 182 NED BROWN RD 1.000 S-P 5/8 1/01/2007 4/19/2007  ON
Serial: 67641517 MANUAL 1/01/2007

WATER 67641189 19-465612 194 NED BROWN RD 1.000 S-P 5/8 1/01/2007 10/30/2007  ON
Serial: 67641189 MANUAL 1/01/2007

WATER 90301509 19-465613 208 NED BROWN RD 1.000 S 5/8" 5/16/2023  ON
Serial: 90301509 MANUAL

WATER 73987769 19-465615 217 NED BROWN RD 1.000 s 5/8" 7/24/2012  ON
Serial: 73987769 MANUAL

WATER 90301689 19-465617 218 NED BROWN RD 1.000 S 5/8" 8/08/2023  ON
Serial: 90301689 MANUAL

WATER 90301690 19-465619 234 NED BROWN RD 1.000 S 5/8" 8/08/2023  ON
Serial: 90301690 MANUAL

WATER 67641191 19-465628 203 NED BROWN RD 1.000 S-P 5/8 1/01/2007 10/30/2007  ON
Serial: 67641191 MANUAL 1/01/2007

WATER 80003247 19-465629 195 NED BROWN RD 1.000 s 5/8" 12/01/2016  ON
Serial: 80003247 MANUAL

WATER 84008041 19-465635 187 NED BROWN RD 1.000 S 5/8" 9/10/2018  ON
Serial: 84008041 MANUAL

WATER 73987765 19-465637 171 NED BROWN RD 1.000 s 5/8" 7/24/2012  ON
Serial: 73987765 MANUAL

WATER 84008002 19-465648 165 NED BROWN RD 1.000 s 5/8" 2/27/2018  ON
Serial: 84008002 MANUAL

WATER 80003243 19-465650 141 NED BROWN RD 1.000 s 5/8" 12/01/2016  ON

Serial: 80003243 MANUAL
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DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT

DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes

DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999

BOOK: 19 - BOOK 19
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
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2/11/2026 12:43 PM METER REPORT PAGE : 87

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 19 - BOOK 19

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 73987768 19-468400 2307 S AMHERST HWY 1.000 S 5/8" 7/24/2012  ON
Serial: 73987768 MANUAL

WATER 66510752 19-468405 2293 S AMHERST HWY 1.000 S-P 5/8 1/01/2006 12/04/2006  ON
Serial: 66510752 MANUAL 1/01/2006

WATER 90301503 19-468500 2243 S AMHERST HWY 1.000 S 5/8" 1/28/2022  ON
Serial: 90301503 MANUAL

WATER 68691927 19-468600 2209 S AMHERST HWY 1.000 S-P 5/8 1/01/2009 1/29/2009  ON
Serial: 68691927 MANUAL 1/01/2009

WATER 73987940 19-468700 138 SUMMERS LN 1.000 s 5/8" 7/14/2014  ON
Serial: 73987940 MANUAL

WATER 86011781 19-468850 2143 S AMHERST HWY 1.000 S 5/8" 5/30/2019  ON
Serial: 86011781 MANUAL

WATER 75618734 19-470500 2139 S AMHERST HWY 1.000 S 5/8" 4/24/2015  ON
Serial: 75618734 MANUAL

WATER 84007978 19-470550 119 SPROUSE DR 1.000 S 5/8" 8/04/2020  ON
Serial: 84007978 MANUAL

WATER 67412766 19-473620 185 FAULCONERVILLE DR 1.000 S-P 5/8 1/01/2007 7/28/2007  ON
Serial: 67412766 MANUAL 1/01/2007

WATER 70171335 19-473725 144 FALCON CREST LN 1.000 S-P 5/8 1/01/2009 0/00/2000  ON
Serial: 70171335 MANUAL 1/01/2009

WATER 67641009 19-473728 147 FALCON CREST LN 1.000 S-P 5/8 1/01/2007 11/01/2007  ON
Serial: 67641009 MANUAL 1/01/2007

WATER 67641286 19-473732 143 FALCON CREST LN 1.000 S-P 5/8 1/01/2007 11/01/2007  ON
Serial: 67641286 MANUAL 1/01/2007

WATER 67641011 19-473734 129 FALCON CREST LN 1.000 S-P 5/8 1/01/2007 11/01/2007  ON
Serial: 67641011 MANUAL 1/01/2007

WATER 71032094 19-473737 124 N COOLWELL RD 1.000 S-P 5/8 1/01/2010 2/25/2010  ON
Serial: 71032094 MANUAL 1/01/2010

WATER 93538671 19-473738  138-146 N COOLWELL RD 1.000 S 1 6/10/2024  ON
Serial: 93538671 MANUAL

WATER 67640971 19-473740 178 N COOLWELL RD 1.000 S-P 5/8 1/01/2007 10/29/2007  ON
Serial: 67640971 MANUAL 1/01/2007

WATER 73681813 19-473750 489 N COOLWELL RD 1.000 S 5/8" 10/17/2012 10/16/2012  OFF
Serial: 73681813 1.000 MANUAL

WATER 61088173 19-473759 189 CASA LOMA LN 1.000 S-P 5/8 1/01/2003 9/11/2003  ON
Serial: 61088173 MANUAL

WATER 67640976 19-473760 175 CASA LOMA LN 1.000 S-P 5/8 1/01/2007 10/29/2007  OFF
Serial: 67640976 MANUAL 1/01/2007

WATER 84008003 19-473762 534 N COOLWELL RD 1.000 s 5/8" 2/27/2018  ON
Serial: 84008003 MANUAL

WATER 67641092 19-473780  COOLWELL RD 1.000 S-P 5/8 1/01/2007 10/29/2007  ON
Serial: 67641092 MANUAL 1/01/2007

WATER 71032110A 19-473784 110 STAGE RD 1.000 S-P 5/8 1/01/2009 12/15/2009  ON
Serial: 71032110 MANUAL

WATER 88239688 19-473787 154 STAGE RD 1.000 S 5/8" 8/20/2020  ON
Serial: 88239688 MANUAL

WATER 90301408 19-473789 175 STAGE RD 1.000 s 5/8" 11/12/2021  ON

Serial: 90301408 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 88

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 19 - BOOK 19

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 75618733 19-473790 273 N COOLWELL RD 1.000 S 5/8" 4/24/2015  ON
Serial: 75618733 MANUAL

WATER 90301406 19-473791 288 N COOLWELL RD 1.000 s 5/8" 11/22/2021  ON
Serial: 90301406 MANUAL

WATER 90301405 19-473792 296 N COOLWELL RD 1.000 S 5/8" 11/22/2021  ON
Serial: 90301405 MANUAL

WATER 90301790 19-473793 284 N COOLWELL RD 1.000 s 5/8" 11/22/2021  ON
Serial: 90301790 MANUAL

WATER 61088168 19-473795 193 MOUNT AIRY RD 1.000 S 1 1/01/2003 4/16/2003  ON
Serial: 61088168 MANUAL

WATER 90301417 19-473797 264 N COOLWELL RD 1.000 S 5/8" 5/03/2024  ON
Serial: 90301417 MANUAL

WATER 96688955 19-473799 268 N COOLWELL RD 1.000 S 5/8" 12/19/2024  ON
Serial: 96688955 MANUAL

WATER 82386773 19-473802 183 FAULCONERVILLE DR 1.000 s 5/8" 8/23/2017  ON
Serial: 82386773 MANUAL

WATER 67641096 19-473810 171 FAULCONERVILLE DR 1.000 S-P 5/8 1/01/2007 10/29/2007  OFF
Serial: 67641096 MANUAL 1/01/2007

WATER 75618795 19-473815 126 BROKEN ARROW TRAIL 1.000 S 5/8" 8/30/2013  ON
Serial: 75618795 MANUAL

WATER 80002922 19-473820 293 BROKEN ARROW TRAIL 1.000 S 5/8" 5/26/2016  ON
Serial: 80002922 MANUAL

WATER 100933501 19-473822 184 BROKEN ARROW TRAIL 1.000 S-IPRL  5/8" 9/25/2025  ON
Serial: 100933501 MANUAL

WATER 67412730 19-473825 180 BROKEN ARROW TRAIL 1.000 S-P 5/8 1/01/2007 2/20/2007  ON
Serial: 67412730 MANUAL

WATER 67641438 19-473826 172 BROKEN ARROW TRAIL 1.000 S-P 5/8 1/01/2007 8/27/2007  ON
Serial: 67641438 MANUAL

WATER 82386769 19-473830 161 BROKEN ARROW TRAIL 1.000 S 5/8" 8/23/2017  ON
Serial: 82386769 MANUAL

WATER 82386771 19-473834 109 FRENCH LN 1.000 S 5/8" 8/23/2017  ON
Serial: 82386771 MANUAL

WATER 68691928 19-473840 103 FAULCONERVILLE DR 1.000 S-P 5/8 1/01/2009 1/29/2009  ON
Serial: 68691928 MANUAL 1/01/2009

WATER 68691929 19-473849 121 REIDS PL 1.000 S-P 5/8 1/01/2009 1/29/2009  ON
Serial: 68691929 MANUAL 1/01/2009

WATER 75618713 19-473850 137 REIDS PL 1.000 S 5/8" 12/26/2013  ON
Serial: 75618713 MANUAL

WATER 82386770 19-473851 111 REIDS PL 1.000 s 5/8" 8/23/2017  OFF
Serial: 82386770 1.000 MANUAL

WATER 75618715 19-473852 131 REIDS PL 1.000 S 5/8" 12/26/2013  ON
Serial: 75618715 MANUAL

WATER 68691930 19-473855 2088 S AMHERST HWY 1.000 S-P 5/8 1/01/2009 1/29/2009  ON
Serial: 68691930 MANUAL 1/01/2009

WATER 84008054 19-473859 113 JONZ DR 1.000 s 5/8" 1/16/2019  OFF
Serial: 84008054 1.000 MANUAL

WATER 68691931 19-473860 115 JONZ DR 1.000 S-P 5/8 1/01/2009 1/29/2009  ON

Serial: 68691931 MANUAL 1/01/2009
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DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 19 - BOOK 19

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 73987767 19-473865 111 JONZ DR 1.000 S 5/8" 7/25/2012  ON
Serial: 73987767 MANUAL

WATER 75618716 19-473866 117 JONZ DR 1.000 S 5/8" 12/26/2013  ON
Serial: 75618716 MANUAL

WATER 67641093 19-473870 109 JONZ DR 1.000 S-P 5/8 1/01/2007 10/29/2007  ON
Serial: 67641093 MANUAL 1/01/2007

WATER 67641091 19-473885 2150 S AMHERST HWY 1.000 S-P 1/01/2007 10/29/2007  ON
Serial: 67641091 MANUAL 1/01/2007

WATER 67641095 19-473895 2154 S AMHERST HWY 1.000 S-P 5/8 1/01/2007 10/29/2007  ON
Serial: 67641095 MANUAL 1/01/2007

WATER 67641477 19-473900 2156 S AMHERST HWY 1.000 S-P 5/8 4/01/2007 4/19/2007  ON
Serial: 67641477 MANUAL 4/01/2007

WATER 70171218 19-473910 264 FALLS FARM RD 1.000 S-P 5/8 1/01/2009 4/03/2009  ON
Serial: 70171218 MANUAL 1/01/2009

WATER 82386768 19-473920 332 FALLS FARM RD 1.000 s 5/8" 8/23/2017  ON
Serial: 82386768 MANUAL

WATER 88239751 19-474000 118 FATHER JUDGE RD 1.000 S 5/8" 10/21/2020  ON
Serial: 88239751 MANUAL

WATER 82386857 19-474080 268 FATHER JUDGE RD 1.000 S 5/8" 8/23/2017  ON
Serial: 82386857 MANUAL

WATER 54578703 19-474100 100 SUGAR MILL DR 1.000 S-P 5/8 1/01/1999 9/11/2000  ON
Serial: 54578703 MANUAL

WATER 71032092 19-474101 108 SUGAR MILL DR 1.000 S-P 5/8 1/01/2010 2/25/2010  ON
Serial: 71032092 MANUAL 1/01/2010

WATER 67412687 19-474102 128 SUGAR MILL DR 1.000 S-P 5/8 4/01/2007 4/19/2007  ON
Serial: 67412687 MANUAL 4/01/2007

WATER 68691950 19-474103 120 DARK PINES LN 1.000 S-P 5/8 1/01/2009 1/29/2009  ON
Serial: 68691950 MANUAL 1/01/2009

WATER 68691951 19-474104 130 DARK PINES LN 1.000 S-P 5/8 1/01/2009 1/29/2009  ON
Serial: 68691951 MANUAL 1/01/2009

WATER 68691952 19-474105 144 DARK PINES LN 1.000 S-P 5/8 1/01/2009 1/29/2009  ON
Serial: 68691952 MANUAL 1/01/2009

WATER 71032085 19-474106 160 DARK PINES LN 1.000 S-P 5/8 1/01/2010 2/25/2010  ON
Serial: 71032085 MANUAL 1/01/2010

WATER 72853858 19-474108 162 DARK PINES LN 1.000 S 5/8" 3/31/2011 ON
Serial: 72853858 MANUAL

WATER 75618792 19-474110 155 DARK PINES LN 1.000 S 5/8" 8/29/2013  ON
Serial: 75618792 MANUAL

WATER 67641206 19-474111 147 DARK PINES LN 1.000 S-P 5/8 1/01/2008 1/29/2008  ON
Serial: 67641206 MANUAL 1/01/2008

WATER 67641207 19-474112 141 DARK PINES LN 1.000 S-P 5/8 1/01/2008 1/29/2008  ON
Serial: 67641207 MANUAL 1/01/2008

WATER 72853856 19-474114 135 DARK PINES LN 1.000 S 5/8" 3/31/2011 ON
Serial: 72853856 MANUAL

WATER 54578656 19-474116 128 SILVERS LN 1.000 S-P 5/8 1/01/1999 10/19/2000  ON
Serial: 54578656 MANUAL

WATER 75618793 19-474117 138 SILVERS LN 1.000 S 5/8" 8/29/2013 ON

Serial: 75618793 MANUAL
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DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT

DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes

DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999

BOOK: 19 - BOOK 19
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- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
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2/11/2026 12:43 PM METER REPORT PAGE : 91
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 19 - BOOK 19
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 66213824 19-474154 202 SUGAR MILL DR 1.000 S-P 5/8 1/01/2006 2/27/2006  ON
Serial: 66213824 MANUAL 1/01/2006
WATER 71032093 19-474155 116 REGAL OAKS WAY 1.000 S-P 5/8 1/01/2010 2/25/2010  ON
Serial: 71032093 MANUAL 1/01/2010
WATER 67641060 19-474156 124 REGAL OAKS WAY 1.000 S-P 5/8 1/01/2008 1/30/2008  ON
Serial: 67641060 MANUAL 1/01/2008
WATER 90301706 19-474157 132 REGAL OAKS WAY 1.000 s 5/8" 1/20/2023  ON
Serial: 90301706 MANUAL

WATER 90301692 19-474158 144 REGAL OAKS WAY 1.000 S 5/8" 6/30/2023  ON
Serial: 90301692 MANUAL

WATER 66213898 19-474159 150 REGAL OAKS WAY 1.000 S-P 5/8 1/01/2006 2/27/2006  ON
Serial: 66213898 MANUAL 1/01/2006

WATER 67412688 19-474160 166 REGAL OAKS WAY 1.000 S-P 5/8 4/01/2007 4/19/2007  ON
Serial: 67412688 MANUAL 4/01/2007

WATER 67641478 19-474161 172 REGAL OAKS WAY 1.000 S-P 5/8 4/01/2007 4/19/2007  ON
Serial: 67641478 MANUAL 4/01/2007

WATER 90301597 19-474162 200 REGAL OAKS WAY 1.000 S 5/8" 5/31/2024  ON
Serial: 90301597 MANUAL

WATER 88239922 19-474164 183 REGAL OAKS WAY 1.000 s 5/8" 10/21/2020  ON
Serial: 88239922 MANUAL

WATER 70171322 19-474167 167 REGAL OAKS WAY 1.000 S-P 5/8 1/01/2009 9/23/2009  ON
Serial: 70171322 MANUAL 1/01/2009

WATER 80003242 19-474169 151 REGAL OAKS WAY 1.000 s 5/8" 12/01/2016  ON
Serial: 80003242 MANUAL

WATER 54773423 19-474171 139 REGAL OAKS WAY 1.000 S-P 5/8 1/01/1999 8/18/1999  ON
Serial: 54773423 MANUAL

WATER 54578695 19-474172 129 REGAL OAKS WAY 1.000 S-P 5/8 1/01/1998 1/14/1999 ON
Serial: 54578695 MANUAL

WATER 67641054 19-474174 107 REGAL OAKS WAY 1.000 S-P 5/8 1/01/2008 1/30/2008  ON
Serial: 67641054 MANUAL 1/01/2008

WATER 96688965 19-474175 248 SUGAR MILL DR 1.000 S-IPRL  5/8" 3/18/2025  ON
Serial: 96688965 MANUAL

WATER 70171319 19-474176 250 SUGAR MILL DR 1.000 S-P 5/8 1/01/2009 9/23/2009  ON
Serial: 70171319 MANUAL 1/01/2009

WATER 75618794 19-474177 256 SUGAR MILL DR 1.000 S 5/8" 8/29/2013 ON
Serial: 75618794 MANUAL

WATER 71032091 19-474179 221 REGAL OAKS WAY 1.000 S-P 5/8 1/01/2010 2/25/2010  ON
Serial: 71032091 MANUAL 1/01/2010

WATER 70171320 19-474180 282 SUGAR MILL DR 1.000 S-P 5/8 1/01/2009 9/23/2009  ON
Serial: 70171320 MANUAL 1/01/2009

WATER 67641055 19-474181 271 SUGAR MILL DR 1.000 S-P 5/8 1/01/2008 1/30/2008  ON
Serial: 67641055 MANUAL 1/01/2008

WATER 67641059 19-474182 259 SUGAR MILL DR 1.000 S-P 5/8 1/01/2008 1/30/2008  ON
Serial: 67641059 MANUAL 1/01/2008

WATER 73987762 19-474183 255 SUGAR MILL DR 1.000 s 5/8" 7/24/2012  ON
Serial: 73987762 MANUAL

WATER 68691955 19-474184 249 SUGAR MILL DR 1.000 S-P 5/8 1/01/2009 1/29/2009  ON
Serial: 68691955 MANUAL 1/01/2009





2/11/2026 12:43 PM METER REPORT PAGE : 92
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT

DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes

DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999

BOOK: 19 - BOOK 19
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
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2/11/2026 12:43 PM METER REPORT PAGE : 93

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 19 - BOOK 19

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 80003244 19-479840 843 FATHER JUDGE RD 1.000 S 5/8" 1/05/2017  ON
Serial: 80003244 MANUAL

WATER 86011861 19-479844 785 FATHER JUDGE RD 1.000 s 5/8" 12/01/2021  ON
Serial: 86011861 MANUAL

WATER 80003378 19-479845 787 FATHER JUDGE RD 1.000 S 5/8" 12/01/2016  ON
Serial: 80003378 MANUAL

WATER 80003379 19-479850 699 FATHER JUDGE RD 1.000 s 5/8" 1/05/2017  ON
Serial: 80003379 MANUAL

WATER 80003375 19-479865 563 FATHER JUDGE RD 1.000 s 5/8" 12/01/2016  ON
Serial: 80003375 MANUAL

WATER 86011899 19-479870 112 GREEN HILL RD 1.000 S 5/8" 5/28/2019  ON
Serial: 86011899 MANUAL

WATER 82386856 19-479885 399 FATHER JUDGE RD 1.000 S 5/8" 8/23/2017  ON
Serial: 82386856 MANUAL

WATER 90301531 19-479887 120 SHADOW OAKS DR 1.000 S 5/8" 10/21/2021  ON
Serial: 90301531 MANUAL

WATER 86011908 19-479907 134 SHADOW OAKS DR 1.000 S 5/8" 5/28/2019  ON
Serial: 86011908 MANUAL

WATER 67641217 19-479927 136 SHADOW OAKS DR 1.000 S-P 5/8 1/01/2008 1/31/2008  ON
Serial: 67641217 MANUAL 1/01/2008

WATER 90301506 19-479948 137 SHADOW OAKS DR 1.000 s 5/8" 10/21/2021  ON
Serial: 90301506 MANUAL

WATER 90301532 19-479949 135 SHADOW OAKS DR 1.000 s 5/8" 10/21/2021  ON
Serial: 90301532 MANUAL

WATER 67641267 19-479950 305 FATHER JUDGE RD 1.000 S-P 5/8 1/01/2008 1/31/2008  ON
Serial: 67641267 MANUAL 1/01/2008

WATER 68691740 19-479951 301 FATHER JUDGE RD 1.000 S-P 5/8 1/01/2009 1/29/2009  ON
Serial: 68691740 MANUAL 1/01/2009

WATER 88239708 19-479952 283 FATHER JUDGE RD 1.000 S 5/8" 9/23/2020  ON
Serial: 88239708 MANUAL

WATER 82386854 19-479953 247 FATHER JUDGE RD 1.000 S 5/8" 8/24/2017  ON
Serial: 82386854 MANUAL

WATER 68691741 19-479972 181 FATHER JUDGE RD 1.000 S-P 5/8 1/01/2009 1/29/2009  ON
Serial: 68691741 MANUAL 1/01/2009

WATER 90301491 19-479975 191 FATHER JUDGE RD 1.000 s 5/8" 7/27/2024  ON
Serial: 90301491 MANUAL

WATER 66213896 19-479977 151 FATHER JUDGE RD 1.000 S-P 5/8 1/01/2006 2/27/2006  ON
Serial: 66213896 MANUAL 1/01/2006

WATER 100933438 19-480000 143 FATHER JUDGE RD 1.000 S-IPRL  5/8" 11/10/2025  ON
Serial: 100933438 MANUAL

WATER 68691742 19-480099 264 N FIVE FORKS RD 1.000 S-P 5/8 1/01/2009 1/29/2009  ON
Serial: 68691742 MANUAL 1/01/2009

WATER 56458047 19-480100 143 FATHER JUDGE RD 1.000 R-P 5/8 1/01/2000 11/17/2000  OFF
Serial: 56458047 MANUAL 1/01/2000

WATER 68691743 19-480400 270 N FIVE FORKS RD 1.000 S-P 5/8 1/01/2009 1/30/2009  ON
Serial: 68691743 MANUAL 1/01/2009

WATER 68691744 19-480500 296 N FIVE FORKS RD 1.000 S-P 5/8 1/01/2009 1/30/2009  ON

Serial: 68691744 MANUAL 1/01/2009





2/11/2026 12:43 PM METER REPORT PAGE : 94

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 19 - BOOK 19

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 82386852 19-480600 136 HIGH PEAK RD 1.000 S 5/8" 8/23/2017  ON
Serial: 82386852 MANUAL

WATER 67641635 19-480700 105 S FIVE FORKS RD 1.000 S-P 5/8 1/01/2007 5/17/2007  ON
Serial: 67641635 MANUAL 1/01/2007

WATER 67641632 19-480800 125 HIGH PEAK RD 1.000 S-P 5/8 1/01/2007 5/17/2007  ON
Serial: 67641632 MANUAL 1/01/2007

WATER 67641631 19-481000 137 MATHEWS STORE RD 1.000 S-P 5/8 1/01/2007 5/17/2007  ON
Serial: 67641631 MANUAL 1/01/2007

WATER 88239710 19-481010 148 HICKS FARM RD 1.000 S 5/8" 9/23/2020  ON
Serial: 88239710 MANUAL

WATER 88239711 19-481011 179 HICKS FARM RD 1.000 S 5/8" 9/23/2020  ON
Serial: 88239711 MANUAL

WATER 71032050 19-481290 125 MATHEWS STORE RD 1.000 S-P 5/8 1/01/2010 4/20/2010  ON
Serial: 71032050 MANUAL

WATER 68691745 19-481300 121 MATHEWS STORE RD 1.000 S-P 5/8 1/01/2009 1/30/2009  ON
Serial: 68691745 MANUAL 1/01/2009

WATER 68691830A 19-481400 155 HICKS FARM RD 1.000 S-P 5/8 1/01/2009 1/30/2009  ON
Serial: 68691830 MANUAL 1/01/2009

WATER 80003264 19-481500 163 HICKS FARM RD 1.000 s 5/8" 1/18/2017  ON
Serial: 80003264 MANUAL

WATER 82386547 19-481600 161 HICKS FARM RD 1.000 S 5/8" 8/24/2017  ON
Serial: 82386547 MANUAL

WATER 82386853 19-481700 378 S FIVE FORKS RD 1.000 S 5/8" 8/23/2017  ON
Serial: 82386853 MANUAL

WATER 82386466 19-481800 377 S FIVE FORKS RD 1.000 s 5/8" 12/27/2021  ON
Serial: 82386466 MANUAL

WATER 68691831 19-481900 382 S FIVE FORKS RD 1.000 S-P 5/8 1/01/2009 1/30/2009  OFF
Serial: 68691831 MANUAL 1/01/2009

WATER 90301446 19-482000 400 S FIVE FORKS RD 1.000 S 5/8" 9/09/2021  ON
Serial: 90301446 MANUAL

WATER 67641114 19-482100 406 S FIVE FORKS RD 1.000 S-P 5/8 1/01/2007 10/24/2007  ON
Serial: 67641114 MANUAL 1/01/2007

WATER 88239894 19-482200 422 S FIVE FORKS RD 1.000 s 5/8" 11/06/2020  ON
Serial: 88239894 MANUAL

WATER 67415626 19-482300 428 S FIVE FORKS RD 1.000 S-P 5/8 1/01/2007 1/31/2007 ON
Serial: 67415626 MANUAL 1/01/2007

WATER 67641110 19-482400 432 S FIVE FORKS RD 1.000 S-P 5/8 1/01/2007 10/24/2007  OFF
Serial: 67641110 MANUAL 1/01/2007

WATER 67641113 19-482500 438 S FIVE FORKS RD 1.000 S-P 5/8 1/01/2007 10/24/2007  ON
Serial: 67641113 MANUAL 1/01/2007

WATER 56458129 19-482600 442 S FIVE FORKS RD 1.000 S-P 5/8 1/01/2000 2/06/2001  ON
Serial: 56458129 MANUAL

WATER 68691832 19-482700 446 S FIVE FORKS RD 1.000 S-P 5/8 1/01/2009 1/30/2009  ON
Serial: 68691832 MANUAL 1/01/2009

WATER 67412686 19-482800 466 S FIVE FORKS RD 1.000 S-P 5/8 1/01/2007 3/15/2007  OFF
Serial: 67412686 MANUAL 1/01/2007

WATER 67641111 19-482900 480 S FIVE FORKS RD 1.000 S-P 5/8 1/01/2007 10/24/2007  ON

Serial: 67641111 MANUAL 1/01/2007





2/11/2026 12:43 PM METER REPORT PAGE : 95
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 19 - BOOK 19
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 82386855 19-483100 138 MAGNOLIA LN 1.000 S 5/8" 8/24/2017  ON
Serial: 82386855 MANUAL
WATER 75618829 19-483101 171 MAGNOLIA LN 1.000 s 5/8" 8/29/2013  ON
Serial: 75618829 MANUAL
WATER 67412638 19-483102 133 MAGNOLIA LN 1.000 S-P 5/8 1/01/2007 3/21/2007  ON
Serial: 67412638 MANUAL 1/01/2007
WATER 67641437 19-483103 129 MAGNOLIA LN 1.000 S-P 5/8 1/01/2007 4/02/2007  ON
Serial: 67641437 MANUAL
WATER 51971477 19-483125 157 MAGNOLIA LN 1.000 R-P 5/8 1/01/1998 8/18/1992  ON
Serial: 51971477 MANUAL 1/01/1998
WATER 67612381 19-483130 147 MAGNOLIA LN 1.000 S-P 5/8 1/01/2007 10/31/2007  ON
Serial: 67612381 MANUAL 1/01/2007
WATER 68691833 19-483135 125 MAGNOLIA LN 1.000 S-P 1/01/2009 1/30/2009  ON
Serial: 68691833 MANUAL 1/01/2009
WATER 68691834 19-483137 488 S FIVE FORKS RD 1.000 S-P 5/8 1/01/2009 1/30/2009  ON
Serial: 68691834 MANUAL 1/01/2009





2/11/2026 12:43 PM REPORT PAGE : 96
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 20 - BOOK 20
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 67641240 20-483605 117 MONROE ST 1.000 s-P 1/01/2007 3/09/2023  ON
Serial: 67641240 MANUAL 1/01/2007
WATER 75618788 20-483800 119 MONROE ST 1.000 S 5/8" 12/30/2013  ON
Serial: 75618788 MANUAL

WATER 67640983 20-483900 133 COAPMAN AVE 1.000 S-P 5/8 1/01/2007 10/31/2007  ON
Serial: 67640983 MANUAL 1/01/2007

WATER 82386546 20-484000 125 COAPMAN AVE 1.000 S 5/8" 8/24/2017  ON
Serial: 82386546 MANUAL

WATER 82386549 20-484100 118 COAPMAN AVE 1.000 S 5/8" 8/24/2017  ON
Serial: 82386549 MANUAL

WATER 82386550 20-484200 117 COAPMAN AVE 1.000 S 5/8" 8/24/2017  ON
Serial: 82386550 MANUAL

WATER 84008033 20-484300 105 COAPMAN AVE 1.000 S 5/8" 10/03/2018  ON
Serial: 84008033 MANUAL

WATER 82386548 20-484400 123 SPENCER ST 1.000 S 5/8" 9/13/2017  ON
Serial: 82386548 MANUAL

WATER 71458500 20-484405 116 SPENCER ST 1.000 S 5/8" 3/31/2011  ON
Serial: 71458500 MANUAL

WATER 67640988 20-484500 109 SPENCER ST 1.000 s-P 5/8 1/01/2007 10/31/2007  ON
Serial: 67640988 MANUAL 1/01/2007

WATER 67640985 20-484600 108 SPENCER ST 1.000 s-P 5/8 1/01/2007 10/31/2007 ON
Serial: 67640985 MANUAL 1/01/2007

WATER 59295772 20-484700 231 BROOKS ST 1.000 R-P 5/8 1/01/2001 3/01/2002 ON
Serial: 59295772 MANUAL 1/01/2001

WATER 68691835 20-484800 149 HARRISON AVE 1.000 S-P 5/8 1/01/2009 1/30/2009  ON
Serial: 68691835 MANUAL 1/01/2009

WATER 82386582 20-484900 221 BROOKS ST 1.000 S 5/8" 6/12/2018  ON
Serial: 82386582 MANUAL

WATER 82386865 20-485100 159 HARRISON AVE 1.000 S 5/8" 9/13/2017 ON
Serial: 82386865 MANUAL

WATER 68691752 20-485200 139 FRANCIS AVE 1.000 S-P 1/01/2009 1/30/2009  ON
Serial: 68691752 MANUAL 1/01/2009

WATER 70641321 20-485300 116 HARRISON AVE 1.000 S-P 5/8 1/01/2009 9/23/2009  ON
Serial: 70641321 MANUAL 1/01/2009

WATER 82386864 20-485400 167 HARRISON AVE 1.000 S 5/8" 9/13/2017  ON
Serial: 82386864 MANUAL

WATER 73987856 20-485600 134 HARRISON AVE 1.000 S 5/8" 7/23/2012  ON
Serial: 73987856 MANUAL

WATER 86011909 20-485650 207 MONROE ST 1.000 S 5/8" 5/28/2019  ON
Serial: 86011909 MANUAL

WATER 67641130 20-485800 122 HARRISON AVE 1.000 S-P 5/8 1/01/2007 10/31/2007  ON
Serial: 67641130 MANUAL 1/01/2007

WATER 100933467 20-485850 121 HARRISON AVE 1.000 S-IPRL  5/8" 9/10/2025  ON
Serial: 100933467 MANUAL

WATER 82386866 20-486000 106 HARRISON AVE 1.000 S 5/8" 9/13/2017  ON
Serial: 82386866 MANUAL

WATER 67640984 20-486300 249 MONROE ST 1.000 S-P 1/01/2007 10/31/2007  ON
Serial: 67640984 MANUAL 1/01/2007





2/11/2026 12:43 PM METER REPORT PAGE : 97
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT

DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes

DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999

BOOK: 20 - BOOK 20
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 84007996 20-486400 251 MONROE ST 1.000 S 5/8" 5/04/2018  ON
Serial: 84007996 MANUAL

WATER 73681766 20-486500 105 B ST 1.000 S 5/8" 1/27/2014 1/27/2014  OFF
Serial: 73681766 1.000 MANUAL

WATER 80003057 20-486600 104 B ST 1.000 S 5/8" 1/24/2018 1/24/2018  OFF
Serial: 80003057 1.000 MANUAL

WATER 84007959 20-486800 107 B ST 1.000 S 5/8" 4/13/2018 ON
Serial: 84007959 MANUAL

WATER 82386868 20-486900 159 BROOKS ST 1.000 S 5/8" 9/13/2017 ON
Serial: 82386868 MANUAL

WATER 67641129 20-487000 171 BROOKS ST 1.000 S-P 5/8 1/01/2007 10/31/2007  ON
Serial: 67641129 MANUAL 1/01/2007

WATER 68691754 20-487100 267 MONROE ST 1.000 s-P 5/8 1/01/2009 1/30/2009  ON
Serial: 68691754 MANUAL 1/01/2009

WATER 67641132 20-487300 269 MONROE ST 1.000 S-P 5/8 1/01/2007 10/31/2007  OFF
Serial: 67641132 MANUAL 1/01/2007

WATER 82386514 20-487400 273 MONROE ST 1.000 S 5/8" 9/13/2017 ON
Serial: 82386514 MANUAL

WATER 67640987 20-487500 277 MONROE ST 1.000 S-P 5/8 1/01/2007 10/31/2007  OFF
Serial: 67640987 MANUAL 1/01/2007

WATER 82386515 20-487800 151 BROOKS ST 1.000 S 5/8" 9/13/2017  ON
Serial: 82386515 MANUAL

WATER 82386512 20-488100 136 BROOKS ST 1.000 s 5/8" 9/14/2017  ON
Serial: 82386512 MANUAL

WATER 71458478 20-488110 122 BROOKS ST 1.000 S 5/8" 5/25/2011  ON
Serial: 71458478 MANUAL

WATER 86011846 20-488120 124 MILDRED AVE 1.000 s 5/8" 1/13/2020  ON
Serial: 86011846 MANUAL

WATER 67641188 20-488200 134 A ST 1.000 S-P 5/8 1/01/2007 10/31/2007  ON
Serial: 67641188 MANUAL 1/01/2007

WATER 90301466 20-488300 136 A ST 1.000 S 5/8" 8/15/2023 ON
Serial: 90301466 MANUAL

WATER 80003377 20-488400 140 A ST 1.000 s 5/8" 12/01/2016  ON
Serial: 80003377 MANUAL

WATER 59660612 20-488500 141 A ST 1.000 R-P 5/8 1/01/2002 5/20/2002  OFF
Serial: 59660612 MANUAL 1/01/2002

WATER 73987764 20-488700 137 A ST 1.000 S 5/8" 7/24/2012  ON
Serial: 73987764 MANUAL

WATER 82386513 20-488800 156 BROOKS ST 1.000 S 5/8" 9/14/2017 ON
Serial: 82386513 MANUAL

WATER 80003263 20-488900 160 BROOKS ST 1.000 S 5/8" 1/18/2017  ON
Serial: 80003263 MANUAL

WATER 84007961 20-489000 149 B ST 1.000 s 5/8" 4/13/2018  ON
Serial: 84007961 MANUAL

WATER 53767101 20-489200 153 B ST 1.000 R-P 5/8 3/01/2005 3/01/2005  OFF
Serial: 53767101 MANUAL 3/01/2005

WATER 67641222 20-489250 155 B ST 1.000 S-P 5/8 1/01/2008 1/31/2008  OFF
Serial: 67641222 MANUAL 1/01/2008
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DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT

DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes

DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999

BOOK: 20 - BOOK 20
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

73681710
73681710
90301684
90301684
70171324
70171324
80003260
80003260
82386326
82386326
80003265
80003265
70171431
70171431
80003262
80003262
80003376
80003376
67641010
67641010
82386511
82386511
84007960
84007960
47816571
47816571
84007987
84007987
73987907
73987907
80002736
80002736
67641187
67641187
67641127
67641127
75618682
75618682
75618708
75618708
80002733
80002733Z2
82386510
82386510
80002735
80002735
70171338
70171338

20-489300

20-489350

20-489400

20-489500

20-489800

20-489900

20-490700

20-490800

20-490900

20-490910

20-491200

20-491300

20-491500

20-491501

20-491600

20-491800

20-492000

20-492300

20-492400

20-492405

z 20-492500

20-492600

20-492700

20-492800

154 B ST

137 B ST

173 BROOKS ST

181 BROOKS ST

193 BROOKS ST

203 BROOKS ST

107 PINE CONE CT

157 OLD COUNTRY RD

108 PINE CONE CT

115 &117 PINE CONE CT

118 PINE CONE CT

124 PINE CONE CT

130 PINE CONE CT

128 PINE CONE CT

155 OLD COUNTRY RD

144 OLD COUNTRY RD

135 OLD COUNTRY RD

123 OLD COUNTRY RD

116 OLD COUNTRY RD

114 OLD COUNTRY RD

111 OLD COUNTRY RD

164 CEDAR GATE RD

105 OLD COUNTRY RD

187 CEDAR GATE RD

MANUAL
S
MANUAL
S-P
MANUAL

MANUAL

MANUAL
S
MANUAL
-P
MANUAL
S
MANUAL

MANUAL
S-P
MANUAL

MANUAL
S
MANUAL
R-P
MANUAL
S
MANUAL

MANUAL

MANUAL
S-P
MANUAL
S-P
MANUAL
S
MANUAL
S
MANUAL

MANUAL

MANUAL
S
MANUAL
S-P
MANUAL

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

1/01/2009

1/01/2009

1/01/2007

1/01/1993

1/01/2007

1/01/2007

1/01/2009

1/27/2014 OFF

7/16/2021 ON

9/25/2009 ON

1/01/2009

1/18/2017 ON

8/22/2017 ON

1/18/2017 ON

4/22/2009 ON

1/01/2009

1/18/2017 ON

1/18/2017 ON

11/01/2007 ON

1/01/2007
9/14/2017 ON

3/26/2018 ON

0/00/2000 ON

1/01/1993

2/27/2018 ON

1/23/2015 ON

1/18/2017 ON

10/31/2007 OFF

1/01/2007

10/31/2007 ON

1/01/2007
4/27/2015 ON

4/27/2015 ON

5/29/2020 ON

9/14/2017 ON

1/18/2017 ON

8/21/2009  ON





2/11/2026 12:43 PM METER REPORT PAGE : 99
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 20 - BOOK 20
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 90301439 20-492803 136 SOUTHERN LN 1.000 S 5/8" 12/05/2023  ON
Serial: 90301439 MANUAL
WATER 90301462 20-492805 138 SOUTHERN LN 1.000 s 5/8" 10/03/2023  ON
Serial: 90301462 MANUAL
WATER 67641128 20-492900 189 CEDAR GATE RD 1.000 S-P 5/8 1/01/2000 8/10/1994  ON
Serial: 67641128 MANUAL 1/01/2000
WATER 75618570 20-493200 205 CEDAR GATE RD 1.000 s 5/8" 11/18/2015  ON
Serial: 75618570 MANUAL
WATER 70171272 20-493300 218 CEDAR GATE RD 1.000 S-P 5/8 1/01/2009 9/23/2009  ON
Serial: 70171272 MANUAL 1/01/2009
WATER 80002734 20-493400 217 CEDAR GATE RD 1.000 s 5/8" 1/18/2017  ON
Serial: 80002734 MANUAL
WATER 73681843 20-493500 220 CEDAR GATE RD 1.000 S 5/8" 10/16/2013  ON
Serial: 73681843 MANUAL
WATER 67641028 20-494000 173 CEDAR GATE RD 1.000 S-P 5/8 1/01/2007 10/31/2007  ON
Serial: 67641028 MANUAL 1/01/2007
WATER 67641131 20-494100 158 CEDAR GATE RD 1.000 S-P 5/8 1/01/2007 10/31/2007  ON
Serial: 67641131 MANUAL 1/01/2007
WATER 82386435 20-494200 165 CEDAR GATE RD 1.000 S 5/8" 8/24/2017  ON
Serial: 82386435 MANUAL
WATER 67641025 20-494300 156 CEDAR GATE RD 1.000 S-P 5/8 1/01/2007 10/31/2007  ON
Serial: 67641025 MANUAL 1/01/2007
WATER 73987991 20-494400 146 CEDAR GATE RD 1.000 S 5/8" 8/08/2013  ON
Serial: 73987991 MANUAL
WATER 67641030 20-494500 111 LYNCHBURG AVE 1.000 S-P 5/8 1/01/2007 10/31/2007  ON
Serial: 67641030 MANUAL 1/01/2007
WATER 73987927 20-494600 138 CEDAR GATE RD 1.000 s 5/8" 2/26/2014  OFF
Serial: 73987927 1.000 MANUAL
WATER 80002732 20-494700 136 CEDAR GATE RD 1.000 S 5/8" 1/18/2017  ON
Serial: 80002732 MANUAL
WATER 71032095 20-494800 147 CEDAR GATE RD 1.000 S-P 5/8 1/01/2010 2/25/2010  ON
Serial: 71032095 MANUAL 1/01/2010
WATER 80003343 20-495000 129 CEDAR GATE RD 1.000 s 5/8" 2/06/2017  ON
Serial: 80003343 MANUAL
WATER 73987761 20-495005 127 SOUTHERN LN 1.000 s 5/8" 7/24/2012  ON
Serial: 73987761 MANUAL
WATER 80003323 20-495010 125 CEDAR GATE RD 1.000 S 5/8" 1/18/2017  ON
Serial: 80003323 MANUAL
WATER 67641069 20-495100 124 CEDAR GATE RD 1.000 S-P 5/8 1/01/2007 10/31/2007  OFF
Serial: 67641069 MANUAL 1/01/2007
WATER 67641027 20-495300 115 CEDAR GATE RD 1.000 S-P 5/8 1/01/2007 10/31/2007  ON
Serial: 67641027 MANUAL 1/01/2007
WATER 82386883 20-495400 111 CEDAR GATE RD 1.000 S 5/8" 9/26/2017  ON
Serial: 82386883 MANUAL
WATER 67641072 20-495500 109 CEDAR GATE RD & MCIV 1.000 S-P 5/8 1/01/2007 10/31/2007  OFF
Serial: 67641072 MANUAL 1/01/2007
WATER 80003338 20-495600 110 MCIVOR LN 1.000 S 5/8" 2/06/2017 ON
Serial: 80003338 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 100
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 20 - BOOK 20
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

86011907
86011907
80003325
80003325
80003342
80003342
67641070
67641070
68691755
68691755
58613012
58613012
82386507
82386507
59295878
59295878
67641652
67641652
73681841
73681841
80003008
80003008
84008104
84008104
67641253
67641253
90301412
90301412
71458499
71458499
67641068
67641068
82386433
82386433
80003013
80003013
80003012
80003012
80003009
80003009
80003010
80003010
58575754
58575754
82386424
82386424
80003011
80003011

20-495800

20-496000

20-496100

20-496300

20-496400

20-496500

20-496600

20-497000

20-497400

20-497500

20-497600

20-497700

20-497800

20-498000

20-498100

20-498300

20-498350

20-498400

20-498405

20-498410

20-498415

20-498420

20-498425

20-498430

137 MCIVOR LN

146 MCIVOR LN

155 MCIVOR LN

161 MCIVOR LN

160 MCIVOR LN

139 SOUTHERN LN

116 MYRTLE ST

3288 S AMHERST HWY

118 WOODROW AVE

134 WOODROW AVE

137 WOODROW AVE

152 WOODROW AVE

148 WOODROW AVE

118 VIRGINIA DR

136 VIRGINIA DR

169 WOODROW AVE

175 WOODROW AVE

118 WOODROW CT

128 WOODROW CT

140 WOODROW CT

150 WOODROW CT

156 WOODROW CT

160 WOODROW CT

161 WOODROW CT

MANUAL
S
MANUAL

MANUAL
S-P
MANUAL
S-P
MANUAL
R-P
MANUAL
S
MANUAL
R-P
MANUAL
S-P
MANUAL
S
MANUAL

MANUAL
S
MANUAL
S-P
MANUAL
S
MANUAL

MANUAL
S-P
MANUAL

MANUAL
S
MANUAL
S
MANUAL

MANUAL

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

1/01/2007

1/01/2009

1/01/2001

1/01/2001

1/01/2007

9/06/2018

1/01/2007

1/01/2007

1/01/2001

5/28/2019

1/18/2017

2/07/2017

10/31/2007
1/01/2007
1/30/2009
1/01/2009
8/27/1981
1/01/2001
9/26/2017

3/01/2002

1/01/2001

4/26/2007

1/01/2007

10/16/2013

1/19/2017

9/24/2018

10/31/2007

1/01/2007

4/10/2024

3/31/2011

10/31/2007

1/01/2007

9/01/2017

1/19/2017

1/19/2017

1/19/2017

1/19/2017

10/26/1993

1/01/2001

8/24/2017

1/19/2017

ON

ON

ON

ON

ON

ON

OFF

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON
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DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT

DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes

DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999

BOOK: 20 - BOOK 20
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

WATER

Serial:

WATER

Serial:

WATER

Serial:

80003313
80003313
80003312
80003312
80003310
80003310
80003308
80003308
68691756
68691756
90301646
90301646
67641649
67641649
82386425
82386425
80003311
80003311
68694757
68694757
68691776
68691776
71458805
71458805
67641256
67641256
67641254
67641254
66213674
66213674
67641257
67641257
67641258
67641258
67641094
67641094
67641431
67641431
73987861
73987861
80003469

80003468
80003468

90301588
90301588

80003466
80003466

20-498435

20-498440

20-498445

20-498450

20-498600

20-498800

20-499500

20-499505

20-499510

20-499600

20-499610

20-499798

20-499800

20-500000

20-500050

20-500100

20-500200

20-500300

20-500400

20-500410

20-500415

20-501300

20-501400

20-501600

159

WOODROW CT

WOODROW CT

WOODROW CT

WOODROW CT

WOODROW AVE

WOODROW AVE

WOODROW AVE

TREVILLIANS

TREVILLIANS

TREVILLIANS

TREVILLIANS

WOODROW AVE

WOODROW AVE

WOODROW AVE

WOODROW AVE

WOODROW AVE

WOODROW AVE

WOODROW AVE

DOLPHIN DR

DOLPHIN DR

DOLPHIN DR

3408 S AMHERST

3410 S AMHERST

3414 S AMHERST

LN

LN

LN

LN

HWY

HWY

HWY

MANUAL
S
MANUAL

MANUAL

MANUAL
S-P
MANUAL
S
MANUAL
S-P
MANUAL
S
MANUAL

MANUAL
S-P
MANUAL
S-P
MANUAL
S
MANUAL
S-P
MANUAL
S-P
MANUAL
S-P
MANUAL
S-P
MANUAL
S-P
MANUAL
S-P
MANUAL
S-P
MANUAL
S
MANUAL

MANUAL

MANUAL

MANUAL

S
MANUAL

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

1/01/2009

4/01/2007

1/01/2009

1/01/2009

1/01/2007

1/01/2007

1/01/2007

1/01/2007

1/01/2007

1/01/2007

1/01/2007

1/19/2017

1/19/2017

1/19/2017

1/19/2017

1/30/2009
1/01/2009
11/18/2022

4/26/2007
4/01/2007
8/24/2017

1/19/2017

2/02/2009
1/01/2009
2/02/2009
1/01/2009
8/25/2010

10/31/2007
1/01/2007
10/31/2007
1/01/2007
2/20/2007

10/30/2007
1/01/2007
10/30/2007
1/01/2007
10/29/2007
1/01/2007
3/29/2007
1/01/2007
7/24/2012

1/19/2017

1/19/2017

9/05/2024

1/19/2017

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

OFF

ON

ON

ON

ON

ON

ON

ON
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DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 20 - BOOK 20

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 80003464 20-501800 3450 S AMHERST HWY 1.000 S 5/8" 1/19/2017  ON
Serial: 80003464 MANUAL

WATER 80003465 20-503100 135 HUGHES DR A 1.000 s 5/8" 1/19/2017  OFF
Serial: 80003465 1.000 MANUAL

WATER 80003241 20-503101 135 HUGHES DR B 1.000 S 5/8" 1/23/2017  OFF
Serial: 80003241 1.000 MANUAL

WATER 80003467 20-503102 135 HUGHES DR D 1.000 s 5/8" 1/19/2017  OFF
Serial: 80003467 1.000 MANUAL

WATER 80003240 20-503103 135 HUGHES DR C 1.000 S 5/8" 1/24/2017 OFF
Serial: 80003240 1.000 MANUAL

WATER 67641429 20-509800 394 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2007 3/29/2007  ON
Serial: 67641429 MANUAL 1/01/2007

WATER 80003239 20-509900 408 DIXIE AIRPORT RD 1.000 S 5/8" 1/24/2017  OFF
Serial: 80003239 1.000 MANUAL

WATER 67641432 20-510000 416 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2007 3/29/2007  ON
Serial: 67641432 MANUAL 1/01/2007

WATER 88239901 20-510500 434 DIXIE AIRPORT RD 1.000 S 5/8" 9/23/2020  ON
Serial: 88239901 MANUAL

WATER 82386421 20-510700 436 DIXIE AIRPORT RD 1.000 S 5/8" 8/24/2017  ON
Serial: 82386421 MANUAL

WATER 70171328 20-510800 438 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2009 9/25/2009  ON
Serial: 70171328 MANUAL 1/01/2009

WATER 68691777 20-510900 154 BIG CEDAR LN 1.000 S-P 5/8 1/01/2009 2/02/2009  ON
Serial: 68691777 MANUAL 1/01/2009

WATER 88239902 20-511000 177 BIG CEDAR LN 1.000 s 5/8" 9/23/2020  ON
Serial: 88239902 MANUAL

WATER 73681842 20-511200 234 PEACEFUL HOLLOW RD 1.000 s 5/8" 10/16/2013  ON
Serial: 73681842 MANUAL

WATER 80003237 20-511400 462 DIXIE AIRPORT RD 1.000 S 5/8" 2/27/2017  ON
Serial: 80003237 MANUAL

WATER 88239899 20-511500 474 DIXIE AIRPORT RD 1.000 S 5/8" 9/23/2020  ON
Serial: 88239899 MANUAL

WATER 90301470 20-511900 488 DIXIE AIRPORT RD 1.000 s 5/8" 7/20/2023  ON
Serial: 90301470 MANUAL

WATER 80003018 20-512000 498 DIXIE AIRPORT RD 1.000 S 5/8" 11/16/2016 11/16/2016  ON
Serial: 80003018 MANUAL

WATER 90301811 20-512200 516 DIXIE AIRPORT RD 1.000 S 5/8" 11/23/2021  ON
Serial: 90301811 MANUAL

WATER 90301808 20-512300 526 DIXIE AIRPORT RD 1.000 s 5/8" 11/23/2021  ON
Serial: 90301808 MANUAL

WATER 88239810 20-512400 534 DIXIE AIRPORT RD 1.000 S 5/8" 11/17/2020 11/17/2020  ON
Serial: 88239810 MANUAL

WATER 90301443 20-512500 542 DIXIE AIRPORT RD 1.000 S 5/8" 9/10/2021  ON
Serial: 90301443 MANUAL

WATER 67641428 20-512600 550 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2007 3/29/2007  ON
Serial: 67641428 MANUAL 1/01/2007

WATER 67641427 20-512900 554 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2007 3/29/2007  ON

Serial: 67641427 MANUAL 1/01/2007





2/11/2026 12:43 PM METER REPORT PAGE : 103
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 20 - BOOK 20
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 67641443 20-513000 562 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2007 3/30/2007  ON
Serial: 67641443 MANUAL 1/01/2007
WATER 73987858 20-513300 564 DIXIE AIRPORT RD 1.000 S 5/8" 7/24/2012  ON

Serial: 73987858 MANUAL
WATER 66213858 20-513500 580 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2006 2/27/2006  ON
Serial: 66213858 MANUAL 1/01/2006
WATER 67641430 20-513700 594 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2007 3/29/2007  ON
Serial: 67641430 MANUAL 1/01/2007
WATER 68691778 20-513800 602 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2009 2/02/2009  ON
Serial: 68691778 MANUAL 1/01/2009
WATER 84008011 20-514000 610 DIXIE AIRPORT RD 1.000 s 5/8" 12/20/2017  ON
Serial: 84008011 MANUAL
WATER 66213749 20-515000 144 SHEARINGHAM DR 1.000 S-P 5/8 1/01/2006 3/01/2006  ON
Serial: 66213749 MANUAL 1/01/2006
WATER 96689060 20-515100 150 SHEARINGHAM DR 1.000 S 5/8" 10/03/2024  ON
Serial: 96689060 MANUAL
WATER 86011729 20-515200 158 SHEARINGHAM DR 1.000 S 5/8" 11/14/2019  ON
Serial: 86011729 MANUAL
WATER 67641433 20-515300 166 SHEARINGHAM DR 1.000 S-P 5/8 1/01/2007 3/30/2007  ON
Serial: 67641433 MANUAL 1/01/2007
WATER 67641444 20-515400 174 SHEARINGHAM DR 1.000 S-P 5/8 1/01/2007 3/30/2007  ON
Serial: 67641444 MANUAL 1/01/2007
WATER 67641440 20-515500 190 SHEARINGHAM DR 1.000 S-P 5/8 1/01/2007 3/30/2007  ON
Serial: 67641440 MANUAL 1/01/2007
WATER 90301650 20-515700 198 SHEARINGHAM DR 1.000 S 5/8" 11/18/2022  ON
Serial: 90301650 MANUAL
WATER 67641451 20-515800 128 YORKSHIRE PL 1.000 S-P 5/8 1/01/2007 3/30/2007  ON
Serial: 67641451 MANUAL 1/01/2007
WATER 67641442 20-515900 132 YORKSHIRE PL 1.000 S-P 5/8 1/01/2007 3/30/2007  OFF
Serial: 67641442 MANUAL 1/01/2007
WATER 67641441 20-516100 118 CHARLESTOWN RD 1.000 S-P 5/8 1/01/2007 3/30/2007  ON
Serial: 67641441 MANUAL 1/01/2007
WATER 67641439 20-516200 120 CHARLESTOWN RD 1.000 S-P 5/8 1/01/2007 3/30/2007  ON
Serial: 67641439 MANUAL 1/01/2007
WATER 67412657 20-516300 121 CHARLESTOWN RD 1.000 S-P 5/8 1/01/2007 3/30/2007  ON
Serial: 67412657 MANUAL 1/01/2007
WATER 67641460 20-516500 154 YORKSHIRE PL 1.000 S-P 5/8 1/01/2007 4/25/2007  ON
Serial: 67641460 MANUAL 1/01/2007
WATER 67641459 20-516600 160 YORKSHIRE PL 1.000 S-P 5/8 1/01/2007 4/25/2007  ON
Serial: 67641459 MANUAL 1/01/2007
WATER 67641453 20-516700 170 YORKSHIRE PL 1.000 S-P 5/8 1/01/2007 4/25/2007  ON
Serial: 67641453 MANUAL 1/01/2007
WATER 67412648 20-516800 172 YORKSHIRE PL 1.000 S-P 5/8 1/01/2007 4/25/2007  ON
Serial: 67412648 MANUAL 1/01/2007
WATER 86011906 20-516900 184 YORKSHIRE PL 1.000 S 5/8" 5/28/2019  ON
Serial: 86011906 MANUAL
WATER 66213641 20-517000 187 YORKSHIRE PL 1.000 S-P 5/8 1/01/2007 4/25/2007  ON
Serial: 66213641 MANUAL 1/01/2007





2/11/2026 12:43 PM

DT PURCHSED:
DT INSTALL:
DT REPAIR:
DT TESTED:
BOOK:

0/00/0000 TO 99/99/9999

1/01/1900 TO 2/11/2026

0/00/0000 TO 99/99/9999

0/00/0000 TO 99/99/9999
20 - BOOK 20

- METER GROUP - METER NO# ACCOUNT NO#
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METER REPORT PAGE :
SEQ :ACCOUNT
SIZE :All Sizes
MAKE :All Makes
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
--MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
179 YORKSHIRE PL 1.000 S-P 5/8 1/01/2010 2/25/2010  ON
MANUAL 1/01/2010
171 YORKSHIRE PL 1.000 S-P 5/8 1/01/2007 4/25/2007  ON
MANUAL 1/01/2007
167 YORKSHIRE PL 1.000 S-P 5/8 1/01/2007 3/30/2007  ON
MANUAL 1/01/2007
159 YORKSHIRE PL 1.000 S-P 5/8 1/01/2007 3/30/2007  ON
MANUAL 1/01/2007
151 YORKSHIRE PL 1.000 S-P 5/8 1/01/2007 3/30/2007  ON
MANUAL 1/01/2007
141 YORKSHIRE PL 1.000 S-P 5/8 1/01/2007 3/30/2007  ON
MANUAL 1/01/2007
133 YORKSHIRE PL 1.000 S-P 1/01/2007 3/30/2007  ON
MANUAL 1/01/2007
125 YORKSHIRE PL 1.000 S 5/8" 8/24/2017  ON
MANUAL
115 YORKSHIRE PL 1.000 S-P 5/8 1/01/2007 3/30/2007  ON
MANUAL 1/01/2007
105 YORKSHIRE PL 1.000 S-P 1/01/2009 2/02/2009  ON
MANUAL 1/01/2009
218 SHEARINGHAM DR 1.000 S-P 5/8 1/01/2009 9/23/2009  ON
MANUAL 1/01/2009
226 SHEARINGHAM DR 1.000 S 5/8" 12/11/2012  ON
MANUAL
238 SHEARINGHAM DR 1.000 S-P 5/8 1/01/2009 2/02/2009  ON
MANUAL 1/01/2009
246 SHEARINGHAM DR 1.000 S-P 5/8 1/01/2009 2/02/2009  ON
MANUAL 1/01/2009
124 CRESTWOOD DR 1.000 S-P 1/01/2007 5/24/2007  ON
MANUAL 1/01/2007
132 CRESTWOOD DR 1.000 S 5/8" 2/02/2009  ON
MANUAL
140 CRESTWOOD DR 1.000 S-P 5/8 1/01/2009 2/02/2009  ON
MANUAL 1/01/2009
148 CRESTWOOD DR 1.000 S-P 5/8 1/01/2007 5/24/2007  ON
MANUAL 1/01/2007
156 CRESTWOOD DR 1.000 S-P 5/8 1/01/2009 2/02/2009  ON
MANUAL 1/01/2009
164 CRESTWOOD DR 1.000 S-P 5/8 1/01/2009 9/23/2009  ON
MANUAL 1/01/2009
170 CRESTWOOD DR 1.000 S-P 5/8 1/01/2007 5/23/2007  ON
MANUAL 1/01/2007
178 CRESTWOOD DR 1.000 S-P 5/8 1/01/2007 5/23/2007  ON
MANUAL 1/01/2007
184 CRESTWOOD DR 1.000 S-P 5/8 1/01/2009 9/23/2009  ON
MANUAL 1/01/2009
186 CRESTWOOD DR 1.000 R-P 5/8 1/01/2009 9/23/2009  ON
MANUAL 1/01/2009

Serial:

71032118 20-517100
71032118

67641462 20-517200
67641462

67641455 20-517300
67641455

67641454 20-517400
67641454

67641435 20-517500
67641435

67641436 20-517600
67641436

67641434 20-517700
67641434

82386420 20-517800
82386420

67641452 20-517900
67641452

68691779 20-518000
68691779

70171274 20-518100
70171274

73681787 20-518200
73681787

68691780 20-518300
68691780

68691781 20-518400
68691781

67641574 20-518500
67641574

68691818 20-518600
68691818

68691819 20-518700
68691819

67641573 20-518800
67641573

68691820 20-518900
68691820

70171270 20-519000
70171270

67641576 20-519100
67641576

67641572 20-519200
67641572

70171273 20-519400
70171273

70171271 20-519500
70171271





2/11/2026 12:43 PM METER REPORT PAGE : 105
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 20 - BOOK 20
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 67641575 20-519600 188 CRESTWOOD DR 1.000 S-P 5/8 1/01/2007 5/23/2007  ON
Serial: 67641575 MANUAL 1/01/2007
WATER 66213764 20-519700 190 CRESTWOOD DR 1.000 S-P 5/8 1/01/2007 5/23/2007  ON
Serial: 66213764 MANUAL 1/01/2007
WATER 96689061 20-519800 189 CRESTWOOD DR 1.000 S 5/8" 10/10/2024  ON

Serial: 96689061 MANUAL
WATER 80002868 20-519900 187 CRESTWOOD DR 1.000 S 5/8" 4/20/2016 ON
Serial: 80002868 MANUAL
WATER 72854016 20-520000 185 CRESTWOOD DR 1.000 s 5/8" 7/24/2025  ON
Serial: 72854016 MANUAL
WATER 67641395 20-520100 183 CRESTWOOD DR 1.000 S-P 5/8 1/01/2007 5/23/2007  ON
Serial: 67641395 MANUAL 1/01/2007
WATER 84007999 20-520200 175 CRESTWOOD DR 1.000 S 5/8" 4/16/2018  ON
Serial: 84007999 MANUAL
WATER 67641392 20-520300 110 WOODBINE RD 1.000 S-P 5/8 1/01/2007 5/23/2007  ON
Serial: 67641392 MANUAL 1/01/2007
WATER 68691822 20-520400 116 WOODBINE RD 1.000 S-P 5/8 1/01/2009 2/02/2009  ON
Serial: 68691822 MANUAL 1/01/2009
WATER 68691823 20-520600 126 WOODBINE RD 1.000 S-P 5/8 1/01/2009 2/02/2009  ON
Serial: 68691823 MANUAL 1/01/2009
WATER 68691896 20-520700 132 WOODBINE RD 1.000 S-P 5/8 1/01/2009 2/02/2009  ON
Serial: 68691896 MANUAL 1/01/2009
WATER 68691897 20-520800 136 WOODBINE RD 1.000 S-P 5/8 1/01/2009 2/02/2009  ON
Serial: 68691897 MANUAL 1/01/2009
WATER 68691898 20-520900 138 WOODBINE RD 1.000 S-P 5/8 1/01/2009 2/02/2009  ON
Serial: 68691898 MANUAL 1/01/2009
WATER 68691899 20-521000 139 WOODBINE RD 1.000 S-P 5/8 1/01/2009 2/02/2009  ON
Serial: 68691899 MANUAL 1/01/2009
WATER 100933439 20-521100 137 WOODBINE RD 1.000 S-IPRL  5/8" 11/10/2025  ON
Serial: 100933439 MANUAL
WATER 59011112 20-521200 131 WOODBINE RD 1.000 R-P 1/01/2001 1/14/2002 ON
Serial: 59011112 MANUAL 1/01/2001
WATER 67641391 20-521300 121 WOODBINE RD 1.000 S-P 5/8 1/01/2007 5/23/2007  ON
Serial: 67641391 MANUAL 1/01/2007
WATER 67641393 20-521400 143 CRESTWOOD DR 1.000 S-P 5/8 1/01/2007 5/23/2007  ON
Serial: 67641393 MANUAL 1/01/2007
WATER 68691901 20-521500 141 CRESTWOOD DR 1.000 S-P 5/8 1/01/2009 2/02/2009  ON
Serial: 68691901 MANUAL 1/01/2009
WATER 67641396 20-521800 121 CRESTWOOD DR 1.000 S-P 5/8 1/01/2007 5/01/2007  ON
Serial: 67641396 MANUAL 1/01/2007
WATER 67641394 20-521900 262 SHEARINGHAM DR 1.000 S-P 5/8 1/01/2007 5/14/2007  ON
Serial: 67641394 MANUAL 1/01/2007
WATER 68691734 20-522000 266 SHEARINGHAM DR 1.000 S-P 5/8 1/01/2009 2/03/2009  ON
Serial: 68691734 MANUAL 1/01/2009
WATER 75618848 20-522100 280 SHEARINGHAM DR 1.000 S 5/8" 8/02/2013 ON
Serial: 75618848 MANUAL
WATER 70171590 20-523000 251 SHEARINGHAM DR 1.000 R-P 5/8 1/01/2009 4/29/2009  ON
Serial: 70171590 MANUAL 1/01/2009





2/11/2026 12:43 PM METER REPORT PAGE : 106
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 20 - BOOK 20
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 67641398 20-523100 241 SHEARINGHAM DR 1.000 S-P 5/8 1/01/2007 4/25/2007  ON
Serial: 67641398 MANUAL 1/01/2007
WATER 70171620 20-523200 231 SHEARINGHAM DR 1.000 R-P 5/8 1/01/2009 4/29/2009  ON
Serial: 70171620 MANUAL 1/01/2009
WATER 67641397 20-530000 205 SHEARINGHAM DR 1.000 S-P 5/8 1/01/2007 4/25/2007  ON
Serial: 67641397 MANUAL 1/01/2007
WATER 67641402 20-530100 183 SHEARINGHAM DR 1.000 S-P 5/8 1/01/2007 4/25/2007  ON
Serial: 67641402 MANUAL 1/01/2007
WATER 67641400 20-530500 161 SHEARINGHAM DR 1.000 S-P 5/8 1/01/2007 4/25/2007  ON
Serial: 67641400 MANUAL 1/01/2007
WATER 70171621 20-530600 149 SHEARINGHAM DR 1.000 R-P 5/8 1/01/2009 4/29/2009  ON
Serial: 70171621 MANUAL 1/01/2009
WATER 88239900 20-530700 145 SHEARINGHAM DR 1.000 S 5/8" 9/23/2020  ON
Serial: 88239900 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 107

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 21 - BOOK 21

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 70171512 21-532000 112 PINE ACRES DR 1.000 R-P 5/8 1/01/2009 4/29/2009  ON
Serial: 70171512 MANUAL 1/01/2009
WATER 67641399 21-532100 116 & 118 PINE ACRES DR 1.000 S-P 5/8 1/01/2007 4/25/2007  ON
Serial: 67641399 MANUAL 1/01/2007
WATER 88239903 21-532200 122 PINE ACRES DR 1.000 S 5/8" 9/23/2020  ON
Serial: 88239903 MANUAL
WATER 70171511 21-532300 132 PINE ACRES DR 1.000 R-P 5/8 1/01/2009 4/29/2009  ON
Serial: 70171511 MANUAL 1/01/2009
WATER 67641401 21-532400 138 PINE ACRES DR 1.000 S-P 5/8 1/01/2007 4/25/2007  ON
Serial: 67641401 MANUAL 1/01/2007
WATER 71032117 21-532500 150 PINE ACRES DR 1.000 S-P 5/8 1/01/2010 2/25/2010  ON
Serial: 71032117 MANUAL 1/01/2010
WATER 70171269 21-532600 160 PINE ACRES DR 1.000 S-P 5/8 1/01/2009 9/23/2009  ON
Serial: 70171269 MANUAL 1/01/2009
WATER 67641461 21-532800 164 PINE ACRES DR 1.000 S-P 5/8 1/01/2007 4/25/2007  ON
Serial: 67641461 MANUAL 1/01/2007
WATER 67641457 21-532900 168 PINE ACRES DR 1.000 S-P 5/8 1/01/2007 4/25/2007  ON
Serial: 67641457 MANUAL 1/01/2007
WATER 67641458 21-533400 141 PINE ACRES DR 1.000 S-P 5/8 1/01/2007 4/25/2007  ON
Serial: 67641458 MANUAL 1/01/2007
WATER 67640907 21-533500 135 PINE ACRES DR 1.000 S-P 5/8 1/01/2007 5/24/2007  ON
Serial: 67640907 MANUAL 1/01/2007
WATER 67640909 21-533600 127 PINE ACRES DR 1.000 S-P 1/01/2007 5/24/2007  ON
Serial: 67640909 MANUAL 1/01/2007
WATER 90301733 21-534100 603 DIXIE AIRPORT RD 1.000 S 5/8" 9/21/2022  ON
Serial: 90301733 MANUAL
WATER 70171618 21-534200 595 DIXIE AIRPORT RD 1.000 R-P 5/8 1/01/2009 4/29/2009  ON
Serial: 70171618 MANUAL 1/01/2009
WATER 88239876 21-534300 587 DIXIE AIRPORT RD 102 1.000 S 5/8" 1/13/2021  ON
Serial: 88239876 MANUAL
WATER 90301681 21-534400 587 DIXIE AIRPORT RD 100 1.000 s 5/8" 7/16/2021  ON
Serial: 90301681 MANUAL
WATER 100933468 21-534499 571 DIXIE AIRPORT RD 1.000 S-IPRL  5/8" 8/18/2025  ON
Serial: 100933468 MANUAL
WATER 67641219 21-534500 573 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2008 1/31/2008  ON
Serial: 67641219 MANUAL 1/01/2008
WATER 82386423 21-534700 561 DIXIE AIRPORT RD 1.000 S 5/8" 8/24/2017  ON
Serial: 82386423 MANUAL
WATER 90301812 21-534800 551 DIXIE AIRPORT RD 1.000 s 5/8" 11/17/2021  ON
Serial: 90301812 MANUAL
WATER 67640910 21-535000 120 ABBITTS DR 1.000 S-P 5/8 1/01/2007 5/24/2007  ON
Serial: 67640910 MANUAL 1/01/2007
WATER 67640905 21-535100 128 ABBITTS DR 1.000 S-P 5/8 1/01/2007 5/24/2007  ON
Serial: 67640905 MANUAL 1/01/2007
WATER 67640908 21-535200 144 ABBITTS DR 1.000 S-P 1/01/2007 5/24/2007  ON
Serial: 67640908 MANUAL 1/01/2007
WATER 72853767 21-535300 152 ABBITTS DR 1.000 s 5/8" 4/26/2013  ON

Serial: 72853767 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 108
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 21 - BOOK 21
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 90301444 21-535500 160 ABBITTS DR 1.000 S 5/8" 9/10/2021  ON
Serial: 90301444 MANUAL
WATER 71032116A 21-535600 172 PINE ACRES DR 1.000 S-P 5/8 1/01/2010 2/25/2010  ON
Serial: 71032116 MANUAL 1/01/2010
WATER 70171527 21-535700 170 PINE ACRES DR 1.000 R-P 5/8 1/01/2009 4/30/2009  ON
Serial: 70171527 MANUAL 1/01/2009
WATER 72853836 21-535801 216 ABBITTS DR 1.000 s 5/8" 4/26/2013  ON
Serial: 72853836 MANUAL
WATER 72853763 21-535802 224 ABBITTS DR 1.000 s 5/8" 4/26/2013  ON
Serial: 72853763 MANUAL
WATER 72853814 21-535803 228 ABBITTS DR 1.000 S 5/8" 5/09/2013 ON
Serial: 72853814 MANUAL
WATER 72853835 21-535804 234 ABBITTS DR 1.000 S 5/8" 4/26/2013  ON
Serial: 72853835 MANUAL
WATER 82386422 21-535850 268 ABBITTS DR 1.000 s 5/8" 8/24/2017  ON
Serial: 82386422 MANUAL
WATER 67640891 21-540000 259 ABBITTS DR 1.000 S-P 5/8 1/01/2007 5/24/2007  ON
Serial: 67640891 MANUAL 1/01/2007
WATER 67640906 21-540400 237 ABBITTS DR 1.000 S-P 5/8 1/01/2007 5/24/2007  ON
Serial: 67640906 MANUAL 1/01/2007
WATER 58613034 21-540500 233 ABBITTS DR 1.000 S-P 5/8 1/01/2001 0/00/2000  ON
Serial: 58613034 MANUAL 1/01/2001
WATER 86011904 21-540550 219 ABBITTS DR 1.000 S 5/8" 5/28/2019  ON
Serial: 86011904 MANUAL
WATER 70171530 21-540600 225 ABBITTS DR 1.000 R-P 5/8 1/01/2009 4/30/2009  ON
Serial: 70171530 MANUAL 1/01/2009
WATER 67641268 21-540700 215 ABBITTS DR 1.000 S-P 5/8 1/01/2008 1/31/2008  ON
Serial: 67641268 MANUAL 1/01/2008
WATER 82386412 21-540800 211 ABBITTS DR 1.000 S 5/8" 8/24/2017  ON
Serial: 82386412 MANUAL
WATER 67641088 21-541000 187 ABBITTS DR 1.000 S-P 5/8 1/01/2008 1/08/2008  ON
Serial: 67641088 MANUAL 1/01/2008
WATER 80003321 21-541100 185 ABBITTS DR 1.000 s 5/8" 1/24/2017  ON
Serial: 80003321 MANUAL
WATER 67640887 21-541400 173 ABBITTS DR 1.000 S-P 5/8 1/01/2007 5/24/2007  ON
Serial: 67640887 MANUAL 1/01/2007
WATER 82386413 21-541500 167 ABBITTS DR 1.000 s 5/8" 8/24/2017  ON
Serial: 82386413 MANUAL
WATER 67640892 21-541700 157 ABBITTS DR 1.000 S-P 5/8 1/01/2007 5/24/2007  OFF
Serial: 67640892 MANUAL 1/01/2007
WATER 67640889 21-541900 145 ABBITTS DR 1.000 S-P 5/8 1/01/2007 5/24/2007  ON
Serial: 67640889 MANUAL 1/01/2007
WATER 67640890 21-542000 139 ABBITTS DR 1.000 S-P 5/8 1/01/2007 5/24/2007  ON
Serial: 67640890 MANUAL 1/01/2007
WATER 70171528 21-542200 121 PLUM LN 1.000 R-P 5/8 1/01/2009 4/30/2009  ON
Serial: 70171528 MANUAL 1/01/2009
WATER 67640888 21-542300 120 PLUM LN 1.000 S-P 5/8 1/01/2007 5/24/2007  ON
Serial: 67640888 MANUAL 1/01/2007





2/11/2026 12:43 PM METER REPORT PAGE : 109

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 21 - BOOK 21

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 70171489 21-542400 119 ABBITTS DR 1.000 R-P 5/8 1/01/2009 5/20/2009  ON
Serial: 70171489 MANUAL 1/01/2009

WATER 70171488 21-542700 533 DIXIE AIRPORT RD 1.000 R-P 5/8 1/01/2009 5/20/2009  ON
Serial: 70171488 MANUAL 1/01/2009

WATER 84007964 21-542800 529 DIXIE AIRPORT RD 1.000 S 5/8" 10/23/2018  ON
Serial: 84007964 MANUAL

WATER 88239904 21-543000 507 DIXIE AIRPORT RD 1.000 S 5/8" 9/23/2020  ON
Serial: 88239904 MANUAL

WATER 88239697 21-543500 501 DIXIE AIRPORT RD 1.000 S 5/8" 9/23/2020  ON
Serial: 88239697 MANUAL

WATER 88239695 21-543600 487 DIXIE AIRPORT RD 1.000 S 5/8" 9/23/2020  ON
Serial: 88239695 MANUAL

WATER 88239698 21-543800 445 DIXIE AIRPORT RD 1.000 S 5/8" 9/23/2020  ON
Serial: 88239698 MANUAL

WATER 88239696 21-544200 443 DIXIE AIRPORT RD 1.000 s 5/8" 9/23/2020  ON
Serial: 88239696 MANUAL

WATER 88239700 21-544600 399 DIXIE AIRPORT RD 1.000 S 5/8" 9/23/2020  ON
Serial: 88239700 MANUAL

WATER 90301753 21-550000 642 DIXIE AIRPORT RD 1.000 S 5/8" 9/15/2021  ON
Serial: 90301753 MANUAL

WATER 82386410 21-550100 654 DIXIE AIRPORT RD 1.000 S 5/8" 8/24/2017  ON
Serial: 82386410 MANUAL

WATER 67641551 21-550200 656 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2007 5/24/2007  ON
Serial: 67641551 MANUAL 1/01/2007

WATER 82386572 21-550400 678 DIXIE AIRPORT RD 1.000 S 5/8" 12/18/2017  ON
Serial: 82386572 MANUAL

WATER 84008036 21-550595 701 DIXIE AIRPORT RD 1.000 s 5/8" 10/02/2018  ON
Serial: 84008036 MANUAL

WATER 70171339 21-550600 702 DIXIE AIRPORT RD 1.000 R-P 5/8 1/01/2009 5/20/2009  ON
Serial: 70171339 MANUAL 1/01/2009

WATER 67641221 21-550800 712 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2008 1/31/2008  ON
Serial: 67641221 MANUAL 1/01/2008

WATER 67641548 21-551000 718 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2007 5/24/2007  OFF
Serial: 67641548 MANUAL 1/01/2007

WATER 67640897 21-551200 722 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2007 5/29/2007  ON
Serial: 67640897 MANUAL 1/01/2007

WATER 61088177 21-551300 730 DIXIE AIRPORT RD 1.000 s 1 5/28/2014  ON
Serial: 61088177 MANUAL

WATER 67640898 21-551500 742 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2007 5/29/2007  ON
Serial: 67640898 MANUAL 1/01/2007

WATER 71032120 21-551700 752 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2010 2/25/2010  ON
Serial: 71032120 MANUAL 1/01/2010

WATER 67641550 21-551800 756 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2007 5/29/2007  ON
Serial: 67641550 MANUAL 1/01/2007

WATER 82386411 21-551900 774 DIXIE AIRPORT RD 1.000 S 5/8" 8/24/2017  ON
Serial: 82386411 MANUAL

WATER 82386408 21-552100 776 DIXIE AIRPORT RD 1.000 S 5/8" 8/24/2017  ON

Serial: 82386408 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 110
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 21 - BOOK 21
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 70171485 21-552300 798 DIXIE AIRPORT RD 1.000 R-P 5/8 1/01/2009 5/20/2009  ON
Serial: 70171485 MANUAL 1/01/2009
WATER 80002815 21-552302 848 DIXIE AIRPORT RD 1.000 s 5/8" 7/06/2017  ON
Serial: 80002815 MANUAL

WATER 84008028 21-552401 858 DIXIE AIRPORT RD 1.000 S 5/8" 2/22/2018  ON
Serial: 84008029 MANUAL

WATER 82386409 21-552402 870 DIXIE AIRPORT RD 1.000 S 5/8" 8/25/2017  ON
Serial: 82386409 MANUAL

WATER 60181447 21-552403 876 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2003 0/00/2000  ON
Serial: 60181447 MANUAL 1/01/2003

WATER 66510725 21-552404 896 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2006 10/23/2006  ON
Serial: 66510725 MANUAL

WATER 88239918 21-552405 910 DIXIE AIRPORT RD 1.000 S 5/8" 9/23/2020  ON
Serial: 88239918 MANUAL

WATER 63056533 21-552501 948 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2006 6/01/2006  ON
Serial: 63056533 MANUAL 1/01/2006

WATER 66510715 21-552502 952 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2006 10/12/2006  ON
Serial: 66510715 MANUAL

WATER 80003320 21-552503 962 DIXIE AIRPORT RD 1.000 s 5/8" 1/24/2017  ON
Serial: 80003320 MANUAL

WATER 63056460 21-562190 947 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2006 6/01/2006  ON
Serial: 63056460 MANUAL

WATER 90301516 21-562191 933 DIXIE AIRPORT RD 1.000 s 5/8" 12/13/2021  ON
Serial: 90301516 MANUAL

WATER 68691854 21-562192 925 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2008 5/27/2008  ON
Serial: 68691854 MANUAL

WATER 88239977 21-562200 867 DIXIE AIRPORT RD 1.000 s 5/8" 10/20/2020  ON
Serial: 88239977 MANUAL

WATER 75618711 21-562205 889 DIXIE AIRPORT RD 1.000 S 5/8" 4/27/2015  ON
Serial: 75618711 MANUAL

WATER 70171490 21-562300 857 DIXIE AIRPORT RD 102 1.000 R-P 5/8 1/01/2009 5/20/2009  ON
Serial: 70171490 MANUAL 1/01/2009

WATER 70171487 21-562400 857 DIXIE AIRPORT RD 101 1.000 R-P 5/8 1/01/2009 5/20/2009  ON
Serial: 70171487 MANUAL 1/01/2009

WATER 67641547 21-562500 853 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2007 5/29/2007  ON
Serial: 67641547 MANUAL 1/01/2007

WATER 67641552 21-562700 931 POSSUM ISLAND RD 1.000 S-P 5/8 1/01/2007 5/29/2007  ON
Serial: 67641552 MANUAL 1/01/2007

WATER 67641549 21-563000 923 POSSUM ISLAND RD 1.000 S-P 5/8 1/01/2007 5/29/2007  ON
Serial: 67641549 MANUAL 1/01/2007

WATER 58881527 21-563200 901 POSSUM ISLAND RD 1.000 S-P 5/8 1/01/2001 0/00/2000  ON
Serial: 58881527 MANUAL 1/01/2001

WATER 73681731 21-563400 887 POSSUM ISLAND RD 1.000 S 5/8" 8/16/2012  ON
Serial: 73681731 MANUAL

WATER 67640843 21-563500 879 POSSUM ISLAND RD 1.000 S-P 5/8 1/01/2007 5/29/2007  ON
Serial: 67640843 MANUAL 1/01/2007

WATER 70171151 21-563599 173 BEASLEY FARM RD 1.000 R-P 5/8 1/01/2009 5/20/2009  ON
Serial: 70171151 MANUAL 1/01/2009
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DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT

DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes

DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999

BOOK: 21 - BOOK 21
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
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2/11/2026 12:43 PM METER REPORT PAGE : 112

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 21 - BOOK 21

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 70171568 21-601000 218 DOGWOOD DR 1.000 R-P 5/8 1/01/2009 5/21/2009  ON
Serial: 70171568 MANUAL 1/01/2009

WATER 80003267 21-601100 226 DOGWOOD DR 1.000 S 5/8" 1/25/2017  ON
Serial: 80003267 MANUAL

WATER 51971464 21-601200 246 DOGWOOD DR 1.000 R-P 5/8 1/01/1997 10/30/1997 ON
Serial: 51971464 MANUAL 1/01/1997

WATER 82386429 21-601300 270 DOGWOOD DR 1.000 S 5/8" 8/25/2017  ON
Serial: 82386429 MANUAL

WATER 67641408 21-601400 274 DOGWOOD DR 1.000 S-P 5/8 1/01/2007 5/15/2007  ON
Serial: 67641408 MANUAL

WATER 80003058 21-601500 134 CEDAR RIDGE DR 1.000 S 5/8" 5/16/2017  ON
Serial: 80003058 MANUAL

WATER 88239868 21-601700 156 CEDAR RIDGE DR 1.000 S 5/8" 10/20/2020  ON
Serial: 88239868 MANUAL

WATER 71032010 21-602000 166 CEDAR RIDGE DR 1.000 S-P 5/8 1/01/2010 2/25/2010  ON
Serial: 71032010 MANUAL 1/01/2010

WATER 67641303 21-602050 172 CEDAR RIDGE DR 1.000 S-P 5/8 1/01/2007 9/04/2007  ON
Serial: 67641303 MANUAL

WATER 68692104 21-602051 171 CEDAR RIDGE DR 1.000 S-P 5/8 1/01/2008 5/28/2008  ON
Serial: 68692104 MANUAL 1/01/2008

WATER 80003271 21-602300 135 CEDAR RIDGE DR 1.000 s 5/8" 1/25/2017  ON
Serial: 80003271 MANUAL

WATER 90301743 21-602400 133 CEDAR RIDGE DR 1.000 s 5/8" 4/20/2022  ON
Serial: 90301743 MANUAL

WATER 53767027 21-602500 127 CEDAR RIDGE DR 1.000 R-P 5/8 1/01/1998 0/00/2000  ON
Serial: 53767027 MANUAL 1/01/1998

WATER 70171564 21-602700 115 CEDAR RIDGE DR 1.000 R-P 5/8 1/01/2009 5/21/2009  ON
Serial: 70171564 MANUAL 1/01/2009

WATER 80003268 21-602800 105 CEDAR RIDGE DR 1.000 S 5/8" 1/25/2017  ON
Serial: 80003268 MANUAL

WATER 70171566 21-605000 354 DOGWOOD DR 1.000 R-P 5/8 1/01/2009 5/21/2009  ON
Serial: 70171566 MANUAL 1/01/2009

WATER 82386427 21-605200 370 DOGWOOD DR 1.000 s 5/8" 8/25/2017  ON
Serial: 82386427 MANUAL

WATER 80003283 21-605205 378 DOGWOOD DR 1.000 S 5/8" 1/25/2017 ON
Serial: 80003283 MANUAL

WATER 80003282 21-605207 374 DOGWOOD DR 1.000 S 5/8" 1/25/2017  ON
Serial: 80003282 MANUAL

WATER 84007977 21-605300 544 DOGWOOD DR 1.000 S 5/8" 8/11/2020  ON
Serial: 84007977 MANUAL

WATER 71458508 21-612114 906 POSSUM ISLAND RD 1.000 S 5/8" 1/21/2011  ON

MANUAL

WATER 68691798 21-612550 683 POSSUM ISLAND RD 1.000 S-P 5/8 1/01/2008 11/24/2008  ON
Serial: 68691798 MANUAL

WATER 90301599 21-612570 605 POSSUM ISLAND RD 1.000 S 5/8" 5/30/2024  ON
Serial: 90301599 MANUAL

WATER 80008081 21-612571 621 POSSUM ISLAND RD 1.000 S 5/8" 5/23/2018 5/31/2018 ON

Serial: 80008081 MANUAL
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DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 21 - BOOK 21
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 84008083 21-612572 631 POSSUM ISLAND RD 1.000 S 5/8" 5/23/2018 5/31/2018  ON
Serial: 84008083 MANUAL
WATER 84008082 21-612573 651 POSSUM ISLAND RD 1.000 S 5/8" 5/23/2018 5/31/2018  ON
Serial: 84008082 MANUAL
WATER 88239791 21-612574 655 POSSUM ISLAND RD 1.000 S 5/8" 4/12/2021  ON
Serial: 88239791 MANUAL
WATER 61088182 21-612580 620 POSSUM ISLAND RD 1.000 S 1 1/01/2006 2/27/2006  ON
Serial: 61088182 MANUAL
WATER 88239831 21-612590 756 POSSUM ISLAND RD 1.000 s 5/8" 10/20/2020  ON
Serial: 88239831 MANUAL
WATER 63056534 21-612593 780 POSSUM ISLAND RD 1.000 S-P 1/01/2006 5/08/2006  ON
Serial: 63056534 MANUAL
WATER 82386426 21-612600 840 POSSUM ISLAND RD 1.000 S 5/8" 8/25/2017  ON
Serial: 82386426 MANUAL
WATER 82386505 21-612610 844 POSSUM ISLAND RD 1.000 s 5/8" 8/25/2017  ON
Serial: 82386505 MANUAL
WATER 84008058 21-612611 874 POSSUM ISLAND RD 1.000 S 5/8" 1/30/2019  ON
Serial: 84008058 MANUAL
WATER 71458504 21-612612 886 POSSUM ISLAND 1.000 s 5/8" 11/18/2010  ON
Serial: 71458504 MANUAL
WATER 72853941 21-612613 896 POSSUM ISLAND RD 1.000 S 5/8" 5/26/2011  ON
Serial: 72853941 MANUAL
WATER 70171152 21-612700 914 POSSUM ISLAND RD 1.000 R-P 5/8 1/01/2009 5/20/2009  ON
Serial: 70171152 MANUAL 1/01/2009
WATER 68692092 21-612701 811 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2009 2/03/2009  ON
Serial: 68692092 MANUAL
WATER 82386859 21-612703 783 DIXIE AIRPORT RD 1.000 s 5/8" 6/26/2018  ON
Serial: 82386859 MANUAL
WATER 68691878A 21-612704 771 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2009 4/27/2009  ON
Serial: 68691878 MANUAL
WATER 80003372 21-613800 131 & 133 OLD CABIN TRAIL 1.000 s 5/8" 1/27/2017  ON
Serial: 80003372 MANUAL
WATER 82386508 21-614000 117 OLD CABIN TRAIL 1.000 S 5/8" 8/25/2017  ON
Serial: 82386508 MANUAL
WATER 70171150 21-614100 105 OLD CABIN TRAIL 1.000 R-P 5/8 1/01/2009 5/20/2009  ON
Serial: 70171150 MANUAL 1/01/2009
WATER 67640894 21-614200 741 DIXIE AIRPORT RD 1.000 S-P 1/01/2007 5/29/2007  ON
Serial: 67640894 MANUAL 1/01/2007
WATER 70171154 21-614400 733 DIXIE AIRPORT RD 1.000 R-P 5/8 1/01/2009 5/20/2009  ON
Serial: 70171154 MANUAL 1/01/2009
WATER 70171277 21-614500 725 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2009 6/03/2009  ON
Serial: 70171277 MANUAL 1/01/2009
WATER 67640893 21-614800 703 & 705 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2007 5/29/2007  ON
Serial: 67640893 MANUAL 1/01/2007
WATER 73681745 21-615000 695 DIXIE AIRPORT RD 1.000 S 5/8" 5/08/2013 ON
Serial: 73681745 MANUAL
WATER 90301759 21-615200 683 DIXIE AIRPORT RD 1.000 S 5/8" 5/12/2022  ON
Serial: 90301759 MANUAL
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DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 21 - BOOK 21
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
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2/11/2026 12:43 PM METER REPORT PAGE : 115

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 21 - BOOK 21

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 75618707 21-618700 225 WOODHAVEN CT 1.000 S 5/8" 4/27/2015  ON
Serial: 75618707 MANUAL

WATER 96688946 21-618703 179 WOODHAVEN CT 1.000 s 5/8" 10/10/2024  ON
Serial: 96688946 MANUAL

WATER 75618710 21-618704 173 WOODHAVEN CT 1.000 S 5/8" 4/27/2015  ON
Serial: 75618710 MANUAL

WATER 72853755 21-618705 167 WOODHAVEN CT 1.000 s 5/8" 4/30/2013  ON
Serial: 72853755 MANUAL

WATER 82386509 21-618707 157 WOODHAVEN CT 1.000 S 5/8" 8/25/2017  ON
Serial: 82386509 MANUAL

WATER 82386504 21-618709 184 S WOOD DUCK DR 1.000 S 5/8" 8/25/2017  ON
Serial: 82386504 MANUAL

WATER 54773380 21-618710 196 S WOOD DUCK DR 1.000 S-P 5/8 1/01/1999 0/00/2000  ON
Serial: 54773380 MANUAL 1/01/1999

WATER 82386569 21-618712 214 S WOOD DUCK DR 1.000 S 5/8" 8/28/2017  ON
Serial: 82386569 MANUAL

WATER 66510742 21-618717 254 S WOOD DUCK DR 1.000 S-P 5/8 1/01/2006 12/18/2006  ON
Serial: 66510742 MANUAL 1/01/2006

WATER 82386568 21-618718 250 S WOOD DUCK DR 1.000 S 5/8" 8/28/2017  ON
Serial: 82386568 MANUAL

WATER 59660654 21-618720 241 S WOOD DUCK DR 1.000 R-P 5/8 1/01/2002 0/00/2000  ON
Serial: 59660654 MANUAL 1/01/2002

WATER 86011905 21-618721 217 S WOOD DUCK DR 1.000 S 5/8" 5/28/2019  ON
Serial: 86011905 MANUAL

WATER 67641337 21-618722 110 ROBINDALE CR 1.000 S-P 5/8 1/01/2007 9/04/2007  ON
Serial: 67641337 MANUAL

WATER 66213935 21-618723 112 ROBINDALE CR 1.000 S-P 1/01/2006 3/02/2006  ON
Serial: 66213935 MANUAL 1/01/2006

WATER 80003371 21-618724 113 ROBINDALE CR 1.000 S 5/8" 1/27/2017  ON
Serial: 80003371 MANUAL

WATER 88239898 21-618725 115 ROBINDALE CIR 1.000 s 5/8" 11/05/2020  ON
Serial: 88239898 MANUAL

WATER 73681786 21-618727 201 S WOOD DUCK DR 1.000 S 5/8" 8/16/2012  ON
Serial: 73681786 MANUAL

WATER 82386566 21-618728 127 FOREST DR 1.000 S 5/8" 8/28/2017  ON
Serial: 82386566 MANUAL

WATER 66213932 21-618729 119 FOREST DR 1.000 S-P 5/8 1/01/2006 6/02/2006  ON
Serial: 66213932 MANUAL 1/01/2006

WATER 100933480 21-618734 563 POSSUM ISLAND RD 1.000 S-IPRL  5/8" 10/03/2025  ON
Serial: 100933480 MANUAL

WATER 67641295 21-618735 567 POSSUM ISLAND RD 1.000 S-P 5/8 1/01/2007 5/31/2007  ON
Serial: 67641295 MANUAL 1/01/2007

WATER 75618652 21-618736 547 POSSUM ISLAND RD 1.000 s 5/8" 4/24/2015  ON
Serial: 75618652 MANUAL

WATER 80003370 21-618737 118 MILLENNIUM WAY 1.000 s 5/8" 1/27/2017  ON
Serial: 80003370 MANUAL

WATER 82386567 21-618740 144 MILLENNIUM WAY 1.000 S 5/8" 8/28/2017  ON

Serial: 82386567 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 116
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT

DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes

DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999

BOOK: 21 - BOOK 21
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
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2/11/2026 12:43 PM METER REPORT PAGE : 117
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 21 - BOOK 21
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 72853753 21-618813 104 N WOOD DUCK DR 1.000 S 5/8" 4/30/2013  ON
Serial: 72853753 MANUAL
WATER 82386541 21-618814 112 N WOOD DUCK DR 1.000 s 5/8" 8/24/2017  ON
Serial: 82386541 MANUAL
WATER 71032009 21-618816 126 N WOOD DUCK DR 1.000 S-P 5/8 1/01/2010 3/04/2010  ON
Serial: 71032009 MANUAL 1/01/2010
WATER 71032011 21-618817 134 N WOOD DUCK DR 1.000 S-P 5/8 1/01/2010 3/04/2010 ON
Serial: 71032011 MANUAL 1/01/2010
WATER 67641296 21-618818 142 N WOOD DUCK DR 1.000 S-P 5/8 1/01/2007 5/31/2007  ON
Serial: 67641296 MANUAL 1/01/2007
WATER 80003278 21-618819 146 N WOOD DUCK DR 1.000 s 5/8" 1/25/2017  ON
Serial: 80003278 MANUAL
WATER 71032143 21-618820 156 N WOOD DUCK DR 1.000 S-P 5/8 1/01/2010 2/23/2010  ON
Serial: 71032143 MANUAL 1/01/2010
WATER 72853865 21-618850 140 FOREST DR 1.000 S 5/8" 4/30/2013  ON
Serial: 72853865 MANUAL
WATER 80003281 21-618851 148 FOREST DR 1.000 S 5/8" 1/25/2017  ON
Serial: 80003281 MANUAL
WATER 72853756 21-618852 137 WOODHAVEN CT 1.000 s 5/8" 4/30/2013  ON
Serial: 72853756 MANUAL
WATER 72853870 21-618853 129 WOODHAVEN CT 1.000 S 5/8" 5/03/2013 ON
Serial: 72853870 MANUAL
WATER 51182450 21-618854 125 WOODHAVEN CT 1.000 R-P 1/01/1997 10/30/1997  ON
Serial: 51182450 MANUAL 1/01/1997
WATER 94814834 21-618855 117 WOODHAVEN CT 1.000 S 5/8" 7/24/2025  ON
Serial: 94814834 MANUAL
WATER 72853752 21-618856 105 WOODHAVEN CT 1.000 s 5/8" 5/03/2013  ON
Serial: 72853752 MANUAL
WATER 80003279 21-618857 103 WOODHAVEN CT 1.000 S 5/8" 1/25/2017  ON
Serial: 80003279 MANUAL
WATER 70171337 21-618858 102 WOODHAVEN CT 1.000 S 5/8" 3/27/2018  ON
Serial: 70171337 MANUAL
WATER 73681789 21-618860 108 WOODHAVEN CT 1.000 S 5/8" 8/16/2012  ON
Serial: 73681789 MANUAL
WATER 72853866 21-618861 116 WOODHAVEN CT 1.000 S 5/8" 5/03/2013 ON
Serial: 72853866 MANUAL
WATER 67641074 21-618862 128 WOODHAVEN CT 1.000 S-P 5/8 1/01/2007 11/28/2007  ON
Serial: 67641074 MANUAL
WATER 72853754 21-618863 136 WOODHAVEN CT 1.000 s 5/8" 5/03/2013  ON
Serial: 72853754 MANUAL
WATER 88239718 21-618864 142 WOODHAVEN CT 1.000 S 5/8" 10/20/2020  ON
Serial: 88239718 MANUAL
WATER 54773373 21-618865 150 WOODHAVEN CT 1.000 R-P 5/8 1/01/2000 0/00/2000  ON
Serial: 54773373 MANUAL 1/01/2000
WATER 82386543 21-618868 186 WOODHAVEN CT 1.000 S 5/8" 8/24/2017  ON
Serial: 82386543 MANUAL
WATER 50231710 21-618870 218 WOODHAVEN CT 1.000 S-P 5/8 1/01/2003 0/00/2000  ON
Serial: 50231710 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 118
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT

DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes

DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999

BOOK: 21 - BOOK 21
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
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2/11/2026 12:43 PM METER REPORT PAGE : 119
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 21 - BOOK 21
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 73681732 21-642500 1210 DIXIE AIRPORT RD 1.000 S 5/8" 8/16/2012  ON
Serial: 73681732 MANUAL
WATER 71032140 21-642505 1224 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2010 2/23/2010  ON
Serial: 71032140 MANUAL 1/01/2010
WATER 70171540 21-643000 122 LONG HORN RD 1.000 S-P 5/8 1/01/2009 2/13/2009  ON
Serial: 70171540 MANUAL 1/01/2009
WATER 82386449 21-643100 114 LONG HORN RD 1.000 S 5/8" 8/24/2017  ON
Serial: 82386449 MANUAL
WATER 72853853 21-643200 104 LONG HORN RD 1.000 S 5/8" 3/31/2011 ON
Serial: 72853853 MANUAL
WATER 96688968 21-643400 1270 DIXIE AIRPORT RD 1.000 S-IPRL  5/8" 9/23/2025  ON
Serial: 96688968 MANUAL
WATER 66213936 21-643500 120 JABO LN 1.000 S-P 5/8 1/01/2006 3/02/2006  ON
Serial: 66213936 MANUAL 1/01/2006
WATER 88239920 21-643600 116 JABO LN 1.000 S 5/8" 10/21/2020  ON
Serial: 88239920 MANUAL
WATER 73987944 21-643700 115 JABO LN 1.000 S 5/8" 5/20/2014  ON
Serial: 73987944 MANUAL
WATER 67641270 21-643900 1282 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2008 1/31/2008  ON
Serial: 67641270 MANUAL 1/01/2008
WATER 67641334 21-644100 1300 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2007 6/26/2007  ON
Serial: 67641334 MANUAL 1/01/2007
WATER 67641425 21-644200 1306 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2007 6/26/2007  OFF
Serial: 67641425 MANUAL 1/01/2007
WATER 51182382 21-644250 1308 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/1997 6/05/1997  ON
Serial: 51182382 MANUAL 1/01/1997
WATER 70171356 21-644500 114 ELLIS LN 1.000 S-P 5/8 1/01/2009 2/13/2009  ON
Serial: 70171356 MANUAL 1/01/2009
WATER 67641424 21-644700 128 ELLIS LN 1.000 S-P 5/8 1/01/2007 6/26/2007  ON
Serial: 67641424 MANUAL 1/01/2007
WATER 71032101 21-644800 1320 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2010 2/24/2010  ON
Serial: 71032101 MANUAL 1/01/2010
WATER 73681735 21-644900 1332 DIXIE AIRPORT RD 1.000 S 5/8" 8/16/2012  ON
Serial: 73681735 MANUAL
WATER 71032139 21-645000 1342 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2010 2/23/2010  ON
Serial: 71032139 MANUAL 1/01/2010
WATER 67641061 21-645004 148 FAIRMONT DR 1.000 S-P 5/8 1/01/2008 1/30/2008  ON
Serial: 67641061 MANUAL 1/01/2008
WATER 82386796 21-645005 156 FAIRMONT DR 1.000 S 5/8" 9/05/2017  ON
Serial: 82386796 MANUAL
WATER 82386446 21-645006 170 FAIRMONT DR 1.000 S 5/8" 9/05/2017  ON
Serial: 82386446 MANUAL
WATER 82386376 21-645007 170 ELLIS LN 1.000 s 5/8" 2/01/2017  ON
Serial: 82386376 MANUAL
WATER 88239919 21-645008 178 FAIRMONT DR 1.000 s 5/8" 10/21/2020  ON
Serial: 88239919 MANUAL
WATER 67412636 21-645010 190 FAIRMONT DR 1.000 S-P 5/8 1/01/2007 3/22/2007  ON
Serial: 67412636 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 120
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT

DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes

DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999

BOOK: 21 - BOOK 21
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

53767042
53767042
601814927
60181492
75618759
75618759
70171230
70171230
72853816
72853816
80002630
80002630
82386444
82386444
82386447
82386447
80002631
80002631
66510679
66510679
80002635
80002635
82386445
82386445
67641387
67641387
0645440
0645440

21-645011

21-645012

21-645013

21-645086

21-645087

21-645089

21-645090

21-645093

21-645094

21-645095

21-645096

21-645097

21-645098

21-645440

194

183

161

131

105

FAIRMONT DR

FAIRMONT DR

FAIRMONT DR

FAIRMONT DR

FAIRMONT DR

POCONO POINT

POCONO POINT

POCONO POINT

POCONO POINT

FAIRMONT DR

FAIRMONT DR

FAIRMONT DR

FAIRMONT DR

CASEY LN

S-P
MANUAL
S-P
MANUAL
S
MANUAL
S-P
MANUAL

MANUAL
S
MANUAL
S
MANUAL
S
MANUAL

MANUAL
S-P
MANUAL

MANUAL
S
MANUAL
S-P
MANUAL

MANUAL

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

5/8"

1/01/1998

1/01/1999

1/01/2009

1/01/2006

1/01/2007

0/00/2000

1/01/1998

11/17/1999

1/01/1999

5/27/2014

2/13/2009

1/01/2009

5/09/2013

2/01/2017

8/31/2017

8/31/2017

2/01/2017

9/13/2006

2/01/2017

8/31/2017

6/25/2007

1/01/2007
0/00/2000

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

ON

OFF





2/11/2026 12:43 PM METER REPORT PAGE : 121

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 22 - BOOK 22

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 70171543 22-646000 1360 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2009 2/13/2009  ON
Serial: 70171543 MANUAL 1/01/2009

WATER 72853777 22-646200 1370 DIXIE AIRPORT RD 1.000 S 5/8" 4/23/2013  ON
Serial: 72853777 MANUAL

WATER 90301607 22-647000 1380 DIXIE AIRPORT RD 1.000 S 5/8" 3/11/2022  ON
Serial: 90301607 MANUAL

WATER 80002632 22-647200 1396 DIXIE AIRPORT RD 1.000 s 5/8" 2/01/2017  ON
Serial: 80002632 MANUAL

WATER 67641032 22-647400 1404 DIXIE AIRPORT RD 1.000 R-P 1/01/2007 8/01/2007  ON
Serial: 67641032 MANUAL 1/01/2007

WATER 82386526 22-647500 1420 DIXIE AIRPORT RD 1.000 S 5/8" 8/31/2017 ON
Serial: 82386526 MANUAL

WATER 82386637 22-647600 1428 DIXIE AIRPORT RD 1.000 S 5/8" 4/16/2018  ON
Serial: 82386637 MANUAL

WATER 96688962 22-647900 1430 DIXIE AIRPORT RD 1.000 S-IPRL 5/8" 3/18/2025  ON
Serial: 96688962 MANUAL

WATER 67641065 22-647910 1442 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2008 2/12/2008  ON
Serial: 67641065 MANUAL

WATER 58613066 22-648000 1442 DIXIE AIRPORT RD 1.000 R-P 5/8 1/01/2001 9/25/2001  OFF
Serial: 58613066 MANUAL 1/01/2001

WATER 90301824 22-648100 1446 DIXIE AIRPORT RD 1.000 s 5/8" 4/18/2023  ON
Serial: 90301824 MANUAL

WATER 67641329 22-648300 1460 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2007 6/28/2007  OFF
Serial: 67641329 MANUAL 1/01/2007

WATER 72853918 22-648500 1468 DIXIE AIRPORT RD 1.000 S 5/8" 4/23/2013  ON
Serial: 72853918 MANUAL

WATER 67641279 22-648700 1474 DIXIE AIRPORT RD 1.000 R-P 5/8 1/01/2007 8/02/2007  ON
Serial: 67641279 MANUAL 1/01/2007

WATER 54773384 22-648800 1478 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/1998 5/26/1999  ON
Serial: 54773384 MANUAL

WATER 90301586 22-648900 1482 DIXIE AIRPORT RD 1.000 S 5/8" 9/05/2024  ON
Serial: 90301586 MANUAL

WATER 70171240 22-649100 1494 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2009 2/19/2009  ON
Serial: 70171240 MANUAL 1/01/2009

WATER 70171159 22-649300 1502 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2009 9/22/2009  ON
Serial: 70171159 MANUAL 1/01/2009

WATER 67641280 22-649700 122 HOLCOMB LN 1.000 WA-P 5/8 1/01/2007 8/02/2007  OFF
Serial: 67641280 MANUAL 1/01/2007

WATER 67641278 22-649900 125 HOLCOMB LN 1.000 S 5/8" 8/02/2007  ON
Serial: 67641278 MANUAL

WATER 70171351 22-650000 1538 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2009 2/19/2009  ON
Serial: 70171351 MANUAL 1/01/2009

WATER 67641578 22-651000 127 WINDY FARM WAY 1.000 S-P 5/8 1/01/2007 1/31/2008  OFF
Serial: 67641578 MANUAL 1/01/2007

WATER 70171243 22-651100 114 WINDY FARM WAY 1.000 S-P 5/8 1/01/2009 2/19/2009  OFF
Serial: 70171243 MANUAL 1/01/2009

WATER 82386527 22-651200 117 WINDY FARM WAY 1.000 S 5/8" 8/31/2017 ON

Serial: 82386527 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 122
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 22 - BOOK 22
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 71032142 22-651300 1612 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2010 3/23/2010  ON
Serial: 71032142 MANUAL 1/01/2010
WATER 54578709 22-651400 1624 DIXIE AIRPORT RD 1.000 R-P 5/8 1/01/2000 3/16/2000  ON
Serial: 54578709 MANUAL

WATER 67641277 22-651500 1630 DIXIE AIRPORT RD 1.000 R-P 5/8 1/01/2007 8/02/2007  ON
Serial: 67641277 MANUAL 1/01/2007

WATER 71032141 22-651505 1636 DIXIE ATIRPORT RD 1.000 s-P 5/8 1/01/2010 3/23/2010  ON
Serial: 71032141 MANUAL 1/01/2010

WATER 70171348 22-651590 1615 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2009 2/19/2009  ON
Serial: 70171348 MANUAL 1/01/2009

WATER 67641418 22-651600 1607 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2007 6/29/2007  ON
Serial: 67641418 MANUAL 1/01/2007

WATER 72853775 22-651700 1599 DIXIE AIRPORT RD 1.000 S 5/8" 4/23/2013  ON
Serial: 72853775 MANUAL

WATER 70171241 22-651800 1585 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2009 2/19/2009  ON
Serial: 70171241 MANUAL 1/01/2009

WATER 54773330 22-651900 1579 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/1998 4/26/1999  ON
Serial: 54773330 MANUAL

WATER 80002633 22-652000 1569 DIXIE AIRPORT RD 1.000 s 5/8" 2/01/2017  ON
Serial: 80002633 MANUAL

WATER 72853780 22-652500 1539 DIXIE AIRPORT RD 1.000 s 5/8" 4/23/2013  OFF
Serial: 72853780 1.000 MANUAL

WATER 80003276 22-652600 1529 DIXIE AIRPORT RD 1.000 s 5/8" 2/01/2017  ON
Serial: 80003276 MANUAL

WATER 71032144 22-652700 1521 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2010 2/23/2010  ON
Serial: 71032144 MANUAL 1/01/2010

WATER 70171350 22-652900 1513 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2009 2/19/2009  ON
Serial: 70171350 MANUAL 1/01/2009

WATER 84008078 22-653250 122 SAFEWAY DR 1.000 S 5/8" 6/05/2018  ON
Serial: 84008078 MANUAL

WATER 82380523 22-653300 146 SAFEWAY DR 1.000 S 5/8" 8/31/2017 ON
Serial: 82380523 MANUAL

WATER 54773317 22-653400 147 SAFEWAY DR 1.000 S-P 1/01/1998 7/01/1999  ON
Serial: 54773317 MANUAL

WATER 80003277 22-653405 157 SAFEWAY DR 1.000 s 5/8" 2/01/2017  OFF
Serial: 80003277 1.000 MANUAL

WATER 82386522 22-653410 140 SAFEWAY DR 1.000 S 5/8" 8/31/2017  ON
Serial: 82386522 MANUAL

WATER 73988017 22-653415 134 SAFEWAY DR 1.000 S 5/8" 2/25/2014  OFF
Serial: 73988017 1.000 MANUAL

WATER 60181496 22-653500 1479 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2003 4/17/2003  OFF
Serial: 60181496 MANUAL 1/01/2003

WATER 58613062 22-653600 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2001 9/25/2001  OFF
Serial: 58613062 MANUAL 1/01/2001

WATER 67641382 22-653800 1455 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2007 6/28/2007  ON
Serial: 67641382 MANUAL 1/01/2007

WATER 67641419 22-653900 1449 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2007 6/29/2007  ON
Serial: 67641419 MANUAL 1/01/2007





2/11/2026 12:43 PM METER REPORT PAGE : 123

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 22 - BOOK 22

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 73987816 22-654000 104 CASEY LN 1.000 S 5/8" 5/29/2012  ON
Serial: 73987816 MANUAL

WATER 67641379 22-654100 124 CASEY LN 1.000 S-P 5/8 1/01/2007 6/28/2007  ON
Serial: 67641379 MANUAL 1/01/2007

WATER 72853778 22-654208 134 CASEY LN 1.000 S 5/8" 4/23/2013  ON
Serial: 72853778 MANUAL

WATER 73987866 22-654300 116 CASEY LN 1.000 S 5/8" 5/29/2012  ON
Serial: 73987866 MANUAL

WATER 71032098 22-654800 138 CASEY LN 1.000 s-P 5/8 1/01/2010 2/24/2010  ON
Serial: 71032098 MANUAL 1/01/2010

WATER 70171244 22-655200 168 CASEY LN 1.000 S-P 5/8 1/01/2009 2/19/2009  OFF
Serial: 70171244 MANUAL 1/01/2009

WATER 56458116 22-655300 198 CASEY LN 1.000 S-P 5/8 1/01/1999 4/12/2001  OFF
Serial: 56458116 MANUAL

WATER 80003273 22-656000 212 CASEY LN 1.000 S 5/8" 2/01/2017  ON
Serial: 80003273 MANUAL

WATER 67641381 22-656300 226 CASEY LN 1.000 S-P 5/8 1/01/2007 6/28/2007  ON
Serial: 67641381 MANUAL 1/01/2007

WATER 70171347 22-656400 228 CASEY LN 1.000 S-P 5/8 1/01/2009 2/19/2009  ON
Serial: 70171347 MANUAL 1/01/2009

WATER 80003272 22-656500 242 CASEY LN 1.000 s 5/8" 2/01/2017  ON
Serial: 80003272 MANUAL

WATER 67641413 22-656800 244 CASEY LN 1.000 S-P 1/01/2007 7/05/2007  ON
Serial: 67641413 MANUAL 1/01/2007

WATER 67641273 22-657000 258 CASEY LN 1.000 S-P 5/8 1/01/2007 7/27/2007  ON
Serial: 67641273 MANUAL 1/01/2007

WATER 70171239 22-657200 278 CASEY LN 1.000 S-P 5/8 1/01/2009 2/19/2009  ON
Serial: 70171239 MANUAL 1/01/2009

WATER 70171352 22-659200 280 CASEY LN 1.000 S-P 5/8 1/01/2009 2/19/2009  ON
Serial: 70171352 MANUAL 1/01/2009

WATER 90301464 22-659685 297 CASEY LN 1.000 S 5/8" 8/31/2023  OFF
Serial: 90301464 1.000 MANUAL

WATER 67641312 22-659690 239 CASEY LN 1.000 S-P 5/8 1/01/2007 9/20/2007  ON
Serial: 67641312 MANUAL

WATER 80002936 22-659695 229 CASEY LN 1.000 S 5/8" 2/19/2016 ON
Serial: 80002936 MANUAL

WATER 80003274 22-659700 223 CASEY LN 1.000 S 5/8" 2/01/2017  ON
Serial: 80003274 MANUAL

WATER 70171349 22-659800 213 CASEY LN 1.000 S-P 5/8 1/01/2009 2/19/2009  ON
Serial: 70171349 MANUAL 1/01/2009

WATER 80003259 22-659900 211 CASEY LN 1.000 S 5/8" 2/02/2017  ON
Serial: 80003259 MANUAL

WATER 80002816 22-659950 187 CASEY LN 1.000 S 5/8" 8/10/2016 8/19/2016  ON
Serial: 80002816 MANUAL

WATER 56458125 22-660300 171 CASEY LN 1.000 S-P 5/8 1/01/2000 2/05/2001  ON
Serial: 56458125 MANUAL

WATER 66510740 22-660400 157 CASEY LN 1.000 S-P 5/8 1/01/2000 12/14/2006  ON

Serial: 66510740 MANUAL 1/01/2000





2/11/2026 12:43 PM METER REPORT PAGE : 124
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 22 - BOOK 22
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 67641073 22-660410 143 CASEY LN 1.000 S-P 5/8 1/01/2007 12/12/2007  ON
Serial: 67641073 MANUAL
WATER 72853779 22-660500 133 CASEY LN 1.000 S 5/8" 4/23/2013  ON
Serial: 72853779 MANUAL
WATER 90301781 22-660600 123 CASEY LN 1.000 S 5/8" 5/13/2022  ON
Serial: 90301781 MANUAL
WATER 75618681 22-660800 1403 DIXIE AIRPORT RD 1.000 S 5/8" 9/19/2014  OFF
Serial: 75618681 1.000 MANUAL
WATER 67641274 22-661000 1363 DIXIE AIRPORT RD 1.000 R-P 5/8 1/01/2007 7/27/2007  ON
Serial: 67641274 MANUAL 1/01/2007
WATER 75618726 22-661100 1349 DIXIE AIRPORT RD 1.000 S 5/8" 6/06/2014  ON
Serial: 75618726 MANUAL
WATER 67641272 22-661600 136 LIGGON RD 1.000 R-P 1/01/2007 7/27/2007  ON
Serial: 67641272 MANUAL 1/01/2007
WATER 70171242 22-662000 154 LIGGON RD 1.000 S-P 5/8 1/01/2009 2/19/2009  ON
Serial: 70171242 MANUAL 1/01/2009
WATER 80003258 22-662400 184 LIGGON RD 1.000 S 5/8" 2/02/2017  ON
Serial: 80003258 MANUAL
WATER 70171441 22-662500 188 LIGGON RD 1.000 S-P 5/8 1/01/2009 2/19/2009  ON
Serial: 70171441 MANUAL 1/01/2009
WATER 70171144 22-663000 114 KIRKLAND DR 1.000 S-P 5/8 1/01/2009 2/19/2009  ON
Serial: 70171144 MANUAL 1/01/2009
WATER 70171216 22-663100 126 KIRKLAND DR 1.000 S-P 5/8 1/01/2009 2/19/2009  ON
Serial: 70171216 MANUAL 1/01/2009
WATER 70171147 22-663200 234 LIGGON RD 1.000 R-P 5/8 1/01/2009 2/24/2009  ON
Serial: 70171147 MANUAL 1/01/2009
WATER 71458556 22-663250 254 LIGGON RD 1.000 S 5/8" 12/20/2010  ON
Serial: 71458556 MANUAL
WATER 84008026 22-664000 149 PEACEFUL LN 1.000 S 5/8" 3/06/2018  ON
Serial: 84008026 MANUAL
WATER 84008105 22-664300 262 LIGGON RD 1.000 S 5/8" 9/06/2018 9/24/2018  ON
Serial: 84008105 MANUAL
WATER 72853937 22-664500 268 LIGGON RD 1.000 S 5/8" 5/26/2011  ON
Serial: 72853937 MANUAL
WATER 88239917 22-664798 284 LIGGON RD 1.000 s 5/8" 10/21/2020  ON
Serial: 88239917 MANUAL
WATER 80003254 22-664800 288 LIGGON RD 1.000 S 5/8" 2/02/2017  ON
Serial: 80003254 MANUAL
WATER 80003256 22-669500 277 LIGGON RD 1.000 S 5/8" 3/22/2017  OFF
Serial: 80003256 1.000 MANUAL
WATER 71032100A 22-670000 102 MONTICELLO LN 1.000 S-P 5/8 1/01/2010 2/25/2010  ON
Serial: 71032100 MANUAL 1/01/2010
WATER 67641271 22-670100 110 MONTICELLO LN 1.000 R-P 1/01/2007 7/27/2007  ON
Serial: 67641271 MANUAL 1/01/2007
WATER 71032102 22-670200 118 MONTICELLO LN 1.000 S-P 5/8 1/01/2010 2/25/2010  ON
Serial: 71032102 MANUAL 1/01/2010
WATER 72853915 22-670300 124 MONTICELLO LN 1.000 s 5/8" 4/23/2013  ON
Serial: 72853915 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 125

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 22 - BOOK 22

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 71032097 22-670400 130 MONTICELLO LN 1.000 S-P 5/8 1/01/2010 2/25/2010  ON
Serial: 71032097 MANUAL 1/01/2010

WATER 71032099 22-670600 146 MONTICELLO LN 1.000 S-P 1/01/2010 2/25/2010  ON
Serial: 71032099 MANUAL 1/01/2010

WATER 71032061 22-670800 152 MONTICELLO LN 1.000 S-P 5/8 1/01/2010 3/25/2010  ON
Serial: 71032061 MANUAL 1/01/2010

WATER 71032155 22-670900 153 MONTICELLO LN 1.000 S-P 5/8 1/01/2010 3/15/2010  ON
Serial: 71032155 MANUAL 1/01/2010

WATER 72853916 22-671000 149 MONTICELLO LN 1.000 s 5/8" 4/23/2013  ON
Serial: 72853916 MANUAL

WATER 72853914 22-671100 147 MONTICELLO LN 1.000 s 5/8" 4/23/2013  ON
Serial: 72853914 MANUAL

WATER 72853913 22-671200 133 MONTICELLO LN 1.000 S 5/8" 4/23/2013  ON
Serial: 72853913 MANUAL

WATER 71032065 22-671300 129 MONTICELLO LN 1.000 S-P 5/8 1/01/2010 3/05/2010  ON
Serial: 71032065 MANUAL 1/01/2010

WATER 70171219 22-671400 119 MONTICELLO LN 1.000 S-P 1/01/2009 2/24/2009  ON
Serial: 70171219 MANUAL 1/01/2009

WATER 70171145 22-681110 1273 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2009 2/24/2009  ON
Serial: 70171145 MANUAL 1/01/2009

WATER 82386525 22-681200 1267 DIXIE AIRPORT RD 1.000 S 5/8" 8/31/2017 ON
Serial: 82386525 MANUAL

WATER 70171217 22-681300 1257 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2009 2/24/2009  ON
Serial: 70171217 MANUAL 1/01/2009

WATER 70171156 22-681500 1249 DIXIE AIRPORT RD 1.000 S-P 5/8 1/01/2009 9/22/2009  ON
Serial: 70171156 MANUAL 1/01/2009

WATER 90301416 22-681800 1167 DIXIE AIRPORT RD B 1.000 s 5/8" 7/11/2024  ON
Serial: 90301416 MANUAL

WATER 72853917 22-681900 1167 DIXIE AIRPORT RD A 1.000 S 5/8" 4/23/2013  OFF
Serial: 72853917 1.000 MANUAL

WATER 80003257 22-682000 1179 DIXIE AIRPORT RD 1.000 s 5/8" 2/02/2017  OFF
Serial: 80003256 1.000 MANUAL

WATER 66213846 22-690000 105 WRIGHT SHOP RD 1.000 S-P 5/8 1/01/2006 3/02/2006  ON
Serial: 66213846 MANUAL 1/01/2006

WATER 54578701 22-690100 3059 GALTS MILL RD 1.000 S-P 5/8 1/01/1999 9/15/2000  ON
Serial: 54578701 MANUAL

WATER 88239749 22-690400 3035 GALTS MILL RD 1.000 S 5/8" 10/21/2020  ON
Serial: 88239749 MANUAL

WATER 54773378 22-690500 3029 GALTS MILL RD 1.000 R-P 5/8 1/01/1999 0/00/2000  ON
Serial: 54773378 MANUAL 1/01/1999

WATER 54773258A 22-690600 3025 GALTS MILL RD 1.000 R-P 5/8 1/01/1999 0/00/2000  ON
Serial: 54773258 MANUAL 1/01/1999

WATER 82386524 22-690800 3009 GALTS MILL RD 1.000 S 5/8" 8/31/2017 ON
Serial: 82386524 MANUAL

WATER 71032063 22-691000 3003 GALTS MILL RD 1.000 S-P 1/01/2010 2/25/2010  ON
Serial: 71032063 MANUAL 1/01/2010

WATER 88239724 22-691300 2971 GALTS MILL RD 1.000 s 5/8" 7/27/2020  ON

Serial: 88239724 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 126

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 22 - BOOK 22

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 72853819 22-691490 2969 GALTS MILL RD 1.000 S 5/8" 9/13/2013  ON
Serial: 72853819 MANUAL

WATER 72853820 22-691491 2961 GALTS MILL RD 1.000 s 5/8" 8/14/2013  ON
Serial: 72853820 MANUAL

WATER 82386529 22-691700 2943 GALTS MILL RD 1.000 S 5/8" 12/29/2017  ON
Serial: 82386529 MANUAL

WATER 73681700 22-692100 106 AVERY LN 1.000 S 5/8" 3/29/2013 ON
Serial: 73681700 MANUAL

WATER 73681695 22-692201 165 AVERY LN 1.000 S 5/8" 3/29/2013 ON
Serial: 73681695 MANUAL

WATER 90301490 22-692300 117 AVERY LN 1.000 s 5/8" 7/23/2024  ON
Serial: 90301490 MANUAL

WATER 67640996 22-692600 2913 GALTS MILL RD 1.000 R-P 5/8 1/01/2007 7/27/2007  ON
Serial: 67640996 MANUAL 1/01/2007

WATER 67641000 22-692900 102 HARRIS RD 1.000 R-P 5/8 1/01/2007 7/30/2007  ON
Serial: 67641000 MANUAL 1/01/2007

WATER 67640999 22-693000 126 HARRIS RD 1.000 S-P 5/8 1/01/2007 7/30/2007  ON
Serial: 67640999 MANUAL 1/01/2007

WATER 70171220 22-693300 142 HARRIS RD 1.000 S-P 5/8 1/01/2009 2/24/2009  OFF
Serial: 70171220 MANUAL 1/01/2009

WATER 88239753 22-693400 150 HARRIS RD 1.000 s 5/8" 10/21/2020  ON
Serial: 88239753 MANUAL

WATER 67640998 22-693600 170 HARRIS RD 1.000 R-P 5/8 1/01/2007 7/30/2007  ON
Serial: 67640998 MANUAL 1/01/2007

WATER 70171143 22-693700 178 HARRIS RD 1.000 S-P 5/8 1/01/2009 2/24/2009  ON
Serial: 70171143 MANUAL 1/01/2009

WATER 82386333 22-694400 228 HARRIS RD 1.000 s 5/8" 7/25/2017  ON
Serial: 82386333 MANUAL

WATER 80003293 22-694600 256 HARRIS RD 104 1.000 S 5/8" 2/06/2017  ON
Serial: 80003293 MANUAL

WATER 82386693 22-694601 256 HARRIS RD 101 1.000 s 5/8" 7/25/2017  ON
Serial: 82386693 MANUAL

WATER 67640997 22-694602 256 HARRIS RD 103 1.000 R-P 5/8 1/01/2007 7/30/2007  ON
Serial: 67640997 MANUAL 1/01/2007

WATER 88239940 22-694603 256 HARRIS RD 102 1.000 S 5/8" 6/05/2020  ON
Serial: 88239940 MANUAL

WATER 51182454 22-694700 262 HARRIS RD 1.000 R-P 5/8 1/01/1998 0/00/2000  ON
Serial: 51182454 MANUAL 1/01/1998

WATER 73987863 22-694800 270 HARRIS RD 1.000 s 5/8" 5/29/2012  ON
Serial: 73987863 MANUAL

WATER 73681697 22-694900 278 HARRIS RD 1.000 S 5/8" 3/29/2013  ON
Serial: 73681697 MANUAL

WATER 71032064 22-695000 296 HARRIS RD 1.000 S-P 5/8 1/01/2010 2/25/2010  ON
Serial: 71032064 MANUAL 1/01/2010

WATER 45961078 22-696200 273 HARRIS RD 1.000 R-P 5/8 1/01/2001 3/09/1992  ON
Serial: 45961078 MANUAL 1/01/2001

WATER 54773257 22-696300 271 HARRIS RD 1.000 R-P 5/8 1/01/1999 0/00/2000  ON

Serial: 54773257 MANUAL 1/01/1999





2/11/2026 12:43 PM METER REPORT PAGE : 127

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 22 - BOOK 22

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 70171215 22-696400 265 HARRIS RD 1.000 S-P 5/8 1/01/2009 2/25/2009  ON
Serial: 70171215 MANUAL 1/01/2009

WATER 70171146 22-696500 259 HARRIS RD 1.000 S-P 5/8 1/01/2009 2/25/2009  ON
Serial: 70171146 MANUAL 1/01/2009

WATER 70171440A 22-697000 130 SWEENEY RD 1.000 S-P 5/8 1/01/2009 2/25/2009  ON
Serial: 70171440 MANUAL 1/01/2009

WATER 88239851 22-697100 138 SWEENEY RD 1.000 s 5/8" 10/21/2020  ON
Serial: 88239851 MANUAL

WATER 67641266 22-697101 140 SWEENEY RD 1.000 S-P 5/8 1/01/2008 1/31/2008  ON
Serial: 67641266 MANUAL 1/01/2008

WATER 88239752 22-698000 128 VINTAGE RD 1.000 s 5/8" 10/21/2020  ON
Serial: 88239752 MANUAL

WATER 80003255 22-698945 143 SWEENEY RD 1.000 S 5/8" 2/02/2017  ON
Serial: 80003255 MANUAL

WATER 80003421 22-698950 139 SWEENEY RD 1.000 s 5/8" 2/02/2017  ON
Serial: 80003421 MANUAL

WATER 70171588 22-699000 131 SWEENEY RD 1.000 R-P 5/8 1/01/2009 4/29/2009  ON
Serial: 70171588 MANUAL 1/01/2009

WATER 67641035 22-699300 113 SWEENEY RD 1.000 R-P 5/8 1/01/2007 8/01/2007  ON
Serial: 67641035 MANUAL 1/01/2007

WATER 70171474 22-699500 227 HARRIS RD 1.000 R-P 5/8 1/01/2009 4/29/2009  ON
Serial: 70171474 MANUAL 1/01/2009

WATER 70171591 22-699700 219 HARRIS RD 1.000 R-P 5/8 1/01/2009 4/29/2009  ON
Serial: 70171591 MANUAL 1/01/2009

WATER 80003340 22-700000 195 HARRIS RD 1.000 S 5/8" 2/06/2017  OFF
Serial: 80003340 1.000 MANUAL

WATER 96689076 22-700575 169 HARRIS RD 1.000 S-IPRL  5/8" 3/24/2025  ON
Serial: 96689076 MANUAL

WATER 71032066 22-700600 145 HARRIS RD 1.000 S-P 5/8 1/01/2010 3/05/2010  ON
Serial: 71032066 MANUAL 1/01/2010

WATER 73987862 22-700700 139 HARRIS RD 1.000 S 5/8" 5/30/2012 ON
Serial: 73987862 MANUAL

WATER 67641276 22-701000 2867 GALTS MILL RD 1.000 R-P 5/8 1/01/2007 7/27/2007  OFF
Serial: 67641276 MANUAL 1/01/2007

WATER 67641316 22-701200 2839 GALTS MILL RD 1.000 R-P 5/8 1/01/2007 7/27/2007  ON
Serial: 67641316 MANUAL 1/01/2007

WATER 80003420 22-701300 2837 GALTS MILL RD 1.000 S 5/8" 2/02/2017  ON
Serial: 80003420 MANUAL

WATER 71032137 22-701305 2835 GALTS MILL RD 1.000 S-P 5/8 1/01/2010 3/05/2010  OFF
Serial: 71032137 MANUAL 1/01/2010

WATER 67641275 22-701400 2823 GALTS MILL RD 1.000 R-P 5/8 1/01/2007 7/27/2007  ON
Serial: 67641275 MANUAL 1/01/2007

WATER 67641546 22-701500 2821 GALTS MILL RD 1.000 S-P 5/8 1/01/2007 8/28/2007  OFF
Serial: 67641546 MANUAL 1/01/2007

WATER 54773390 22-702000 2773 GALTS MILL RD 1.000 S-P 5/8 1/01/1998 0/00/2000  ON
Serial: 54773390 MANUAL

WATER 70171476 22-702200 2771 GALTS MILL RD 1.000 R-P 5/8 1/01/2009 4/29/2009  ON

Serial: 70171476 MANUAL 1/01/2009





2/11/2026 12:43 PM
0/00/0000 TO 99/99/9999

DT PURCHSED:
DT INSTALL:
DT REPAIR:
DT TESTED:
BOOK:

- METER GROUP - METER NO#

1/01/1900 TO

2/11/2026

0/00/0000 TO 99/99/9999
0/00/0000 TO 99/99/9999

22 - BOOK 22

ACCOUNT NO#

————— SERVICE ADDRESS
---DMD MXU--- -DSCALE-

--MXU ID--

METER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

WATER

Serial:

67641115
67641115
67641118
67641118
67641116
67641116
67641120
67641120
67641117
67641117
80003418
80003418
67641350
67641350
67641119
67641119
72854017
72854017
67641353
67641353
67641333
67641333
67641351
67641351
67641352
67641352
73681696
73681696
73681699
73681699
70171592
70171592
66213964
66213964
70171475
70171475
70171589
70171589
80003416
80003416
80002965
80002965
70171268
70171268
70171266
70171266
63056511
63056511

22-702600

22-702700

22-702800

22-703200

22-703300

22-703305

22-703400

22-703500

22-703700

22-704100

22-704200

22-705100

22-705300

22-705400

22-705401

22-705500

22-705600

22-705800

22-705900

22-706100

22-706200

22-706800

22-706900

22-706990

2731 GALTS

2715 GALTS

2725 GALTS

2703 GALTS

2695 GALTS

139 SAVIOR

2689 GALTS

MILL

MILL

MILL

MILL

MILL

LN

MILL

RD

RD

RD

RD

RD

138 GALTS MILL RD

2673 GALTS MILL RD

2671 GALTS

2655 GALTS

2577 GALTS

2551 GALTS

134 KATIES

145 KATIES

2539 GALTS

2527 GALTS

2515 GALTS

2509 GALTS

2495 GALTS

2471 GALTS

2447 GALTS

2435 GALTS

2433 GALTS

MILL

MILL

MILL

MILL

LN

LN

MILL

MILL

MILL

MILL

MILL

MILL

MILL

MILL

MILL

RD

RD

RD

RD

RD

RD

RD

RD

RD

RD

RD

RD

RD

REPORT PAGE : 128
SEQ :ACCOUNT
SIZE :All Sizes
MAKE :All Makes
-SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
--TYPE-- --PRICE-- --REPAIR DATE-- —--TESTED DATE-- STAT
1.000 R-P 5/8 1/01/2007 7/27/2007  ON
MANUAL 1/01/2007
1.000 B-P 5/8 1/01/2007 7/27/2007  ON
MANUAL 1/01/2007
1.000 R-P 5/8 1/01/2007 7/27/2007  ON
MANUAL 1/01/2007
1.000 R-P 5/8 1/01/2007 7/27/2007 ON
MANUAL 1/01/2007
1.000 R-P 5/8 1/01/2007 7/27/2007  OFF
MANUAL 1/01/2007
1.000 S 5/8" 2/02/2017 ON
MANUAL
1.000 R-P 5/8 1/01/2007 7/27/2007  ON
MANUAL 1/01/2007
1.000 R-P 5/8 1/01/2007 7/27/2007  OFF
MANUAL 1/01/2007
1.000 S 5/8" 7/24/2025  ON
MANUAL
1.000 B-P 5/8 1/01/2007 7/27/2007  ON
MANUAL 1/01/2007
1.000 S-P 5/8 1/01/2007 6/04/2007 ON
MANUAL 1/01/2007
1.000 B-P 5/8 1/01/2007 7/27/2007  ON
MANUAL 1/01/2007
1.000 B-P 5/8 1/01/2007 7/27/2007  ON
MANUAL 1/01/2007
1.000 S 5/8" 3/29/2013  OFF
1.000 MANUAL
1.000 S 5/8" 5/07/2013  OFF
1.000 MANUAL
1.000 R-P 5/8 1/01/2009 4/29/2009 ON
MANUAL 1/01/2009
1.000 S-P 5/8 1/01/2006 3/03/2006 ON
MANUAL 1/01/2006
1.000 R-P 5/8 1/01/2009 4/29/2009 ON
MANUAL 1/01/2009
1.000 R-P 5/8 1/01/2009 4/29/2009  ON
MANUAL 1/01/2009
1.000 S 5/8" 2/02/2017  OFF
1.000 MANUAL
1.000 S 5/8" 3/30/2017  ON
MANUAL
1.000 S-P 5/8 1/01/2009 9/30/2009 ON
MANUAL 1/01/2009
1.000 S-P 5/8 1/01/2009 9/30/2009 ON
MANUAL 1/01/2009
1.000 S-P 5/8 1/01/2006 8/14/2006 ON
MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 129
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 22 - BOOK 22
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 66213965 22-707100 2419 GALTS MILL RD 1.000 S-P 5/8 1/01/2006 3/03/2006  ON
Serial: 66213965 MANUAL 1/01/2006
WATER 67641016 22-707200 2405 GALTS MILL RD 1.000 R-P 5/8 1/01/2007 8/02/2007  OFF
Serial: 67641016 MANUAL 1/01/2007
WATER 73988016 22-707500 2391 GALTS MILL RD 1.000 S 5/8" 2/25/2014  ON
Serial: 73988016 MANUAL

WATER 67641259 22-707600 2385 GALTS MILL RD 1.000 R-P 5/8 1/01/2007 8/02/2007  ON
Serial: 67641259 MANUAL 1/01/2007

WATER 67641262 22-707800 2373 GALTS MILL RD 1.000 R-P 5/8 1/01/2007 8/02/2007  ON
Serial: 67641262 MANUAL 1/01/2007

WATER 67641261 22-708000 2359 GALTS MILL RD 1.000 R-P 5/8 1/01/2007 8/02/2007  ON
Serial: 67641261 MANUAL 1/01/2007

WATER 67641264 22-708100 2357 GALTS MILL RD 1.000 R-P 1/01/2007 8/02/2007  ON
Serial: 67641264 MANUAL 1/01/2007

WATER 67641263 22-708200 2305 GALTS MILL RD 1.000 R-P 5/8 1/01/2007 8/01/2007  ON
Serial: 67641263 MANUAL 1/01/2007

WATER 80003419 22-708300 2305 GALTS MILL RD 1.000 S 5/8" 2/02/2017  ON
Serial: 80003419 MANUAL

WATER 82386585 22-708400 155 JUNIPER FARM RD 1.000 s 5/8" 10/16/2017  ON
Serial: 82386585 MANUAL

WATER 88239384 22-708402 141 JUNIPER FARM RD 1.000 S 1 10/18/2022  ON
Serial: 88239384 MANUAL

WATER 80012773 22-708405 151 JUNIPER FARM RD 1.000 S 5/8" 9/24/2020  ON
Serial: 80012773 MANUAL

WATER 84008064 22-708500 2297 GALTS MILL RD 1.000 S 5/8" 3/19/2018  ON
Serial: 84008064 MANUAL

WATER 67641135 22-708700 2281 GALTS MILL RD 1.000 R-P 5/8 1/01/2007 7/30/2007  ON
Serial: 67641135 MANUAL 1/01/2007

WATER 67641134 22-708800 2271 GALTS MILL RD 1.000 R-P 1/01/2007 7/30/2007  ON
Serial: 67641134 MANUAL 1/01/2007

WATER 67641138 22-709900 2161 GALTS MILL RD 1.000 R-P 5/8 1/01/2007 7/30/2007  ON
Serial: 67641138 MANUAL 1/01/2007

WATER 64642932 22-710000 2159 GALTS MILL RD 1.000 S-P 5/8 1/01/2000 7/11/2006  ON
Serial: 64642932 MANUAL 1/01/2000

WATER 67641133 22-710100 2141 GALTS MILL RD 1.000 R-P 5/8 1/01/2007 7/30/2007  ON
Serial: 67641133 MANUAL 1/01/2007

WATER 80003417 22-710150 1988 GALTS MILL RD 1.000 S 5/8" 2/02/2017  ON
Serial: 80003417 MANUAL

WATER 66213962 22-720000 2188 GALTS MILL RD 1.000 S-P 5/8 1/01/2006 3/03/2006  ON
Serial: 66213962 MANUAL 1/01/2006

WATER 71032134 22-720200 2208 GALTS MILL RD 1.000 S-P 5/8 1/01/2010 3/05/2010  OFF
Serial: 71032134 MANUAL 1/01/2010

WATER 67641137 22-720300 2214 GALTS MILL RD 1.000 R-P 5/8 1/01/2007 7/30/2007  ON
Serial: 67641137 MANUAL 1/01/2007

WATER 67640995 22-720400 2224 GALTS MILL RD 1.000 R-P 5/8 1/01/2007 7/30/2007  ON
Serial: 67640995 MANUAL 1/01/2007

WATER 67641315 22-720600  GALTS MILL RD 1.000 S-P 5/8 1/01/2007 6/29/2007  ON
Serial: 67641315 MANUAL 1/01/2007





2/11/2026 12:43 PM METER REPORT PAGE : 130
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 22 - BOOK 22
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 67641417 22-720800 1111 BRIGHTWELLS MILL RD 1.000 S-P 5/8 1/01/2007 6/29/2007  ON
Serial: 67641417 MANUAL 1/01/2007
WATER 67641420 22-720900 1105 BRIGHTWELLS MILL RD 1.000 S-P 5/8 1/01/2007 6/29/2007  ON
Serial: 67641420 MANUAL 1/01/2007
WATER 67641313 22-721000 1097 BRIGHTWELLS MILL RD 1.000 S-P 5/8 1/01/2007 6/29/2007  ON
Serial: 67641313 MANUAL 1/01/2007
WATER 67641318 22-721100 1089 BRIGHTWELLS MILL RD 1.000 S-P 5/8 1/01/2007 6/29/2007  ON
Serial: 67641318 MANUAL 1/01/2007
WATER 67641317 22-721200 1081 BRIGHTWELLS MILL RD 1.000 S-P 5/8 1/01/2007 6/29/2007  ON
Serial: 67641317 MANUAL 1/01/2007
WATER 70171478 22-721300 1073 BRIGHTWELLS MILL RD 1.000 R-P 5/8 1/01/2009 4/29/2009  ON
Serial: 70171478 MANUAL 1/01/2009
WATER 67641415 22-721600 1065 BRIGHTWELLS MILL RD 1.000 S-P 5/8 1/01/2007 6/29/2007  ON
Serial: 67641415 MANUAL 1/01/2007
WATER 80003253 22-721700 889 BRIGHTWELLS MILL RD 1.000 s 5/8" 2/03/2017  ON
Serial: 80003253 MANUAL

WATER 59295927 22-725000 1055 BRIGHTWELLS MILL RD 1.000 S-P 5/8 1/01/2002 8/22/2002  ON
Serial: 59295927 MANUAL

WATER 80003252 22-730000 994 BRIGHTWELLS MILL RD 1.000 s 5/8" 2/03/2017  ON
Serial: 80003252 MANUAL

WATER 59660539 22-730500 1070 BRIGHTWELLS MILL RD 1.000 S-P 5/8 1/01/2002 8/29/2002  ON
Serial: 59660539 MANUAL

WATER 59295849 22-731000 1104 BRIGHTWELLS MILL RD 1.000 S-P 5/8 1/01/2006 6/27/2002  ON
Serial: 59295849 MANUAL

WATER 60181329 22-731400 1126 BRIGHTWELLS MILL RD 1.000 S-P 5/8 1/01/2002 7/30/2002  ON
Serial: 60181329 MANUAL

WATER 70171473 22-731600 1154 BRIGHTWELLS MILL RD 1.000 R-P 5/8 1/01/2009 4/29/2009  ON
Serial: 70171473 MANUAL 1/01/2009

WATER 73681719 22-731700 2280 GALTS MILL RD 1.000 S 5/8" 2/25/2014  ON
Serial: 73681719 MANUAL

WATER 67641416 22-732000 2294 GALTS MILL RD 1.000 S-P 5/8 1/01/2007 6/29/1990  ON
Serial: 67641416 MANUAL 1/01/2007

WATER 71458482 22-732500 2330 GALTS MILL RD 1.000 S 5/8" 3/31/2011 ON
Serial: 71458482 MANUAL

WATER 72853776 22-736800 2390 GALTS MILL RD 1.000 s 5/8" 4/23/2013  ON
Serial: 72853776 MANUAL

WATER 71032138 22-737000 2408 GALTS MILL RD 1.000 S-P 5/8 1/01/2010 3/05/2010  ON
Serial: 71032138 MANUAL 1/01/2010

WATER 70171164 22-737100 2416 GALTS MILL RD 1.000 ]R-P 5/8 1/01/2009 4/29/2009  ON
Serial: 70171164 MANUAL 1/01/2009

WATER 67641104 22-737200 2424 GALTS MILL RD 1.000 S-P 5/8 1/01/2007 8/01/2007  ON
Serial: 67641104 MANUAL 1/01/2007

WATER 54773261 22-737500 2438 GALTS MILL RD 1.000 R-P 5/8 1/01/1999 0/00/2000  ON
Serial: 54773261 MANUAL 1/01/1999

WATER 73681698 22-737600 128 JACKSON DR 1.000 S 5/8" 3/29/2013 ON
Serial: 73681698 MANUAL

WATER 70171163 22-737700 142 JACKSON DR 1.000 R-P 5/8 1/01/2009 4/29/2009  ON
Serial: 70171163 MANUAL 1/01/2009





2/11/2026 12:43 PM METER REPORT PAGE : 131
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 22 - BOOK 22
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 72853790 22-737900 148 JACKSON DR 1.000 S 5/8" 3/29/2013  ON
Serial: 72853790 MANUAL
WATER 59011049 22-738100 158 JACKSON DR 1.000 R-P 5/8 1/01/2001 11/27/2001  OFF
Serial: 59011049 MANUAL 1/01/2001
WATER 80003251 22-738200 166 JACKSON DR 1.000 S 5/8" 2/03/2017  ON
Serial: 80003251 MANUAL
WATER 86011688 22-738500 184 JACKSON DR 1.000 s 5/8" 4/13/2020  ON
Serial: 86011688 MANUAL
WATER 90301806 22-738600 190 JACKSON DR 1.000 S 5/8" 8/18/2021 ON
Serial: 90301806 MANUAL
WATER 68692093 22-738700 192 JACKSON DR 1.000 S-P 5/8 1/01/2009 2/24/2009  ON
Serial: 68692093 MANUAL
WATER 56458115 22-738800 191 JACKSON DR 1.000 S-P 5/8 1/01/1999 4/12/2001  ON
Serial: 56458115 MANUAL
WATER 73987867 22-738900 183 JACKSON DR 1.000 S 5/8" 5/30/2012  ON
Serial: 73987867 MANUAL
WATER 90301751 22-739000 177 JACKSON DR 1.000 S 5/8" 6/16/2021  OFF
Serial: 90301751 1.000 MANUAL
WATER 70171165 22-739900 163 JACKSON DR 1.000 R-P 5/8 1/01/2009 4/29/2009  ON
Serial: 70171165 MANUAL 1/01/2009
WATER 59011006 22-740000 149 JACKSON DR 1.000 R-P 5/8 1/01/2002 3/22/2002  ON
Serial: 59011006 MANUAL 1/01/2002
WATER 67641136 22-740600 113 JACKSON DR 1.000 R-P 5/8 1/01/2007 8/01/2007  ON
Serial: 67641136 MANUAL 1/01/2007
WATER 67641103 22-740700 2448 GALTS MILL RD 1.000 R-P 5/8 1/01/2007 8/01/2007  ON
Serial: 67641103 MANUAL 1/01/2007
WATER 90301685 22-740800 2456 GALTS MILL RD 1.000 s 5/8" 6/22/2021  OFF
Serial: 90301685 1.000 MANUAL
WATER 67641105 22-741000 2472 GALTS MILL RD 1.000 R-P 5/8 1/01/2007 8/01/2007  ON
Serial: 67641105 MANUAL 1/01/2007
WATER 70171166 22-741100 2482 GALTS MILL RD 1.000 R-P 5/8 1/01/2009 4/30/2009  ON
Serial: 70171166 MANUAL 1/01/2009
WATER 70171619 22-741200 110 BOOKER LN 1.000 R-P 5/8 1/01/2009 4/30/2009  ON
Serial: 70171619 MANUAL 1/01/2009
WATER 86011844 22-743005 134 BOOKER LN 1.000 s 5/8" 1/22/2020  ON
Serial: 86011844 MANUAL
WATER 71032135 22-743010 137 BOOKER LN 1.000 s-P 5/8 1/01/2010 3/05/2010  ON
Serial: 71032135 MANUAL 1/01/2010
WATER 90301752 22-743100 2500 GALTS MILL RD 1.000 s 5/8" 6/16/2021  ON
Serial: 90301752 MANUAL
WATER 54578781 22-743200 2506 GALTS MILL RD 1.000 S-P 5/8 1/01/1999 8/08/2000  ON
Serial: 54578781 MANUAL
WATER 90301750 22-743500 2530 GALTS MILL RD 1.000 S 5/8" 6/16/2021  ON
Serial: 90301750 MANUAL
WATER 67641107 22-743700 2554 GALTS MILL RD 1.000 R-P 5/8 1/01/2007 8/01/2007  ON
Serial: 67641107 MANUAL 1/01/2007





2/11/2026 12:43 PM METER REPORT PAGE : 132

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 23 - BOOK 23

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 90301608 23-744200 2622 GALTS MILL RD 1.000 S 5/8" 1/11/2022  ON
Serial: 90301608 MANUAL

WATER 80003249 23-744300 2634 GALTS MILL RD 1.000 s 5/8" 2/03/2017  ON
Serial: 80003249 MANUAL

WATER 67641033 23-744400 2636 GALTS MILL RD 1.000 R-P 5/8 1/01/2007 8/01/2007  ON
Serial: 67641033 MANUAL 1/01/2007

WATER 67641106 23-744600 2648 GALTS MILL RD 1.000 R-P 5/8 1/01/2007 8/01/2007  ON
Serial: 67641106 MANUAL 1/01/2007

WATER 67641282 23-744800 2664 GALTS MILL RD 1.000 R-P 5/8 1/01/2007 8/02/2007  OFF
Serial: 67641282 MANUAL 1/01/2007

WATER 67641281 23-744900 2672 GALTS MILL RD 1.000 R-P 1/01/2007 8/02/2007  ON
Serial: 67641281 MANUAL 1/01/2007

WATER 67641014 23-745000 2678 GALTS MILL RD 1.000 R-P 5/8 1/01/2007 8/02/2007  ON
Serial: 67641014 MANUAL 1/01/2007

WATER 67641013 23-745100 2684 GALTS MILL RD 1.000 R-P 5/8 1/01/2007 8/02/2007  ON
Serial: 67641013 MANUAL 1/01/2007

WATER 70171613 23-745200 2688 GALTS MILL RD 1.000 R-P 5/8 1/01/2009 4/30/2009  ON
Serial: 70171613 MANUAL 1/01/2009

WATER 67641015 23-745400 2700 GALTS MILL RD 1.000 R-P 5/8 1/01/2007 8/02/2007  ON
Serial: 67641015 MANUAL 1/01/2007

WATER 72853928 23-745500 2716 GALTS MILL RD A 1.000 s 5/8" 4/24/2013  ON
Serial: 72853928 MANUAL

WATER 72853925 23-745600 2716 GALTS MILL RD C 1.000 s 5/8" 4/24/2013  ON
Serial: 72853925 MANUAL

WATER 72853930 23-745700 2716 GALTS MILL RD D 1.000 S 5/8" 4/24/2013  ON
Serial: 72853930 MANUAL

WATER 71032133 23-745800 2716 GALTS MILL RD B 1.000 S-P 5/8 1/01/2010 3/05/2010  ON
Serial: 71032133 MANUAL 1/01/2010

WATER 90301623 23-745850 2732 GALTS MILL RD 1.000 S 5/8" 9/12/2024  ON
Serial: 90301623 MANUAL

WATER 90301431 23-745900 2728 GALTS MILL RD 1.000 S 5/8" 9/12/2024  ON
Serial: 90301431 MANUAL

WATER 70171615 23-746000 2734 GALTS MILL RD 1.000 R-P 5/8 1/01/2009 4/30/2009  ON
Serial: 70171615 MANUAL 1/01/2009

WATER 80003248 23-746100 2748 GALTS MILL RD 1.000 s 5/8" 2/03/2017  ON
Serial: 80003248 MANUAL

WATER 58881552 23-746400 2782 GALTS MILL RD 1.000 - 5/8 10/12/2001  OFF
Serial: 58881552 MANUAL

WATER 90301427 23-746450 2740 GALTS MILL RD 1.000 s 5/8" 1/23/2024  ON
Serial: 90301427 MANUAL

WATER 67641017 23-747000 2814 GALTS MILL RD 1.000 R-P 5/8 1/01/2007 8/02/2007  ON
Serial: 67641017 MANUAL 1/01/2007

WATER 67641018 23-747200 2832 GALTS MILL RD 1.000 R-P 5/8 1/01/2007 8/02/2007  ON
Serial: 67641018 MANUAL 1/01/2007

WATER 67641031 23-747300 2834 GALTS MILL RD 1.000 R-P 5/8 1/01/2007 8/01/2007  ON
Serial: 67641031 MANUAL 1/01/2007

WATER 71458587 23-747350 2838 GALTS MILL RD 1.000 S-P 5/8 1/01/2010 3/26/2010  ON

Serial: 71458587 MANUAL 1/01/2010





2/11/2026 12:43 PM METER REPORT PAGE : 133
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 23 - BOOK 23
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 67641036 23-747400 2850 GALTS MILL RD 1.000 R-P 5/8 1/01/2007 8/01/2007  ON
Serial: 67641036 MANUAL 1/01/2007
WATER 67641034 23-747500 102 PAYNE DR 1.000 R-P 5/8 1/01/2007 8/01/2007  OFF
Serial: 67641034 MANUAL 1/01/2007
WATER 67641042 23-747600 136 PAYNE DR 1.000 R-P 5/8 1/01/2007 8/01/2007  ON
Serial: 67641042 MANUAL 1/01/2007
WATER 80003294 23-747800 138 PAYNE DR 1.000 s 5/8" 2/03/2017  ON

Serial: 80003294 MANUAL
WATER 68691910 23-748200 2886 GALTS MILL RD 1.000 S-P 5/8 1/01/2008 5/23/2008  ON
Serial: 68691910 MANUAL 1/01/2008
WATER 67641038 23-748400 2900 GALTS MILL RD 1.000 R-P 5/8 1/01/2007 8/01/2007  ON
Serial: 67641038 MANUAL 1/01/2007
WATER 72853926 23-748500 2908 GALTS MILL RD 1.000 S 5/8" 4/23/2013  ON
Serial: 72853926 MANUAL
WATER 67641040 23-748800 2922 GALTS MILL RD 1.000 S-P 5/8 1/01/2007 8/01/2007  ON
Serial: 67641040 MANUAL 1/01/2007
WATER 71458607 23-748900 2930 GALTS MILL RD 1.000 R-P 5/8 1/01/2010 3/26/2010  ON
Serial: 71458607 MANUAL 1/01/2010
WATER 67641039 23-749100 2938 GALTS MILL RD 1.000 R-P 5/8 1/01/2007 8/01/2007  ON
Serial: 67641039 MANUAL 1/01/2007
WATER 67641041 23-749200 2950 GALTS MILL RD 1.000 R-P 5/8 1/01/2007 8/01/2007  ON
Serial: 67641041 MANUAL 1/01/2007
WATER 67641037 23-749500 2956 GALTS MILL RD 1.000 R-P 1/01/2007 8/01/2007  ON
Serial: 67641037 MANUAL 1/01/2007
WATER 73988014 23-749505 2962 GALTS MILL RD 1.000 S 5/8" 2/25/2014  ON
Serial: 73988014 MANUAL
WATER 54773294 23-749600 2968 GALTS MILL RD 1.000 S-P 5/8 1/01/1999 8/26/1999  OFF
Serial: 54773294 MANUAL 1/01/1999
WATER 67841580 23-749800 2984 GALTS MILL RD 1.000 S 5/8" 5/31/2024  OFF
Serial: 67841580 1.000 MANUAL
WATER 67641354 23-749900 2988 GALTS MILL RD 1.000 R-P 5/8 1/01/2007 7/26/2007  ON
Serial: 67641354 MANUAL 1/01/2007
WATER 67641332 23-750000 3004 GALTS MILL RD 1.000 S-P 5/8 1/01/2007 6/04/2007  ON
Serial: 67641332 MANUAL 1/01/2007
WATER 72853929 23-750100 3010 GALTS MILL RD 1.000 s 5/8" 4/23/2013  ON
Serial: 52407282 MANUAL
WATER 67641023 23-750300 3018 GALTS MILL RD 1.000 S-P 5/8 1/01/2008 1/31/2008  ON
Serial: 67641023 MANUAL 1/01/2008
WATER 71458610 23-750400 3044 GALTS MILL RD 1.000 S-P 5/8 1/01/2010 3/26/2010  ON
Serial: 71458610 MANUAL 1/01/2010
WATER 73681675 23-750405 3048 GALTS MILL RD 1.000 S 5/8" 4/24/2013  ON
Serial: 73681675 MANUAL
WATER 70171616 23-750500 1317 DIXIE AIRPORT RD 1.000 R-P 5/8 1/01/2009 4/30/2009  ON
Serial: 70171616 MANUAL 1/01/2009
WATER 70171609 23-750501 112 IZARK RD 1.000 R-P 5/8 1/01/2009 4/30/2009  ON
Serial: 70171609 MANUAL 1/01/2009
WATER 70171313 23-750502 118 IZAAK RD 1.000 R-P 5/8 1/01/2009 4/30/2009  ON
Serial: 70171313 MANUAL 1/01/2009





2/11/2026 12:43 PM METER REPORT PAGE : 134

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 23 - BOOK 23

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 70171311 23-750503 126 IZAAK RD 1.000 R-P 5/8 1/01/2009 4/30/2009  ON
Serial: 70171311 MANUAL 1/01/2009

WATER 70171316 23-750504 134 IZAAK RD 1.000 R-P 5/8 1/01/2009 4/30/2009  ON
Serial: 70171316 MANUAL 1/01/2009

WATER 71458560 23-750505 140 IZAAK RD 1.000 S 5/8" 3/24/2011  ON
Serial: 71458560 MANUAL

WATER 71458491 23-750506 148 IZARK RD 1.000 R-P 5/8 1/01/2010 3/31/2010 ON
Serial: 71458491 MANUAL 1/01/2010

WATER 71458487 23-750509 172 IZARK RD 1.000 R-P 5/8 1/01/2010 3/31/2010 ON
Serial: 71458487 MANUAL 1/01/2010

WATER 67641384 23-750510 178 IZAAK RD 1.000 S-P 5/8 1/01/2007 6/28/2007  ON
Serial: 67641384 MANUAL 1/01/2007

WATER 67641383 23-750515 186 IZAAK RD 1.000 S-P 5/8 1/01/2007 6/28/2007  ON
Serial: 67641383 MANUAL 1/01/2007

WATER 67641380 23-750520 194 IZAAK RD 1.000 S-P 5/8 1/01/2007 6/28/2007  ON
Serial: 67641380 MANUAL 1/01/2007

WATER 67641330 23-750525 200 IZAAK RD 1.000 S-P 5/8 1/01/2007 6/28/2007  ON
Serial: 67641330 MANUAL 1/01/2007

WATER 67641426 23-750530 210 IZAAK RD 1.000 S-P 5/8 1/01/2007 6/28/2007  ON
Serial: 67641426 MANUAL 1/01/2007

WATER 90301749 23-750900 2169 IZAAK WALTON RD 1.000 S 5/8" 6/16/2021  ON
Serial: 90301749 MANUAL

WATER 90301748 23-751000 2117 IZAAK WALTON RD 1.000 S 5/8" 6/16/2021  ON
Serial: 90301748 MANUAL

WATER 82386772 23-751050 1769 IZAAK WALTON RD 1.000 S 5/8" 9/26/2017  ON
Serial: 82386772 MANUAL

WATER 67640993 23-751100 1759 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2008 2/05/2008  ON
Serial: 67640993 MANUAL 1/01/2008

WATER 84007938 23-751150 1729 IZAAK WALTON RD 1.000 S 5/8" 10/19/2018  ON
Serial: 84007938 MANUAL

WATER 70171614 23-751200 1705 IZAAK WALTON RD 1.000 R-P 5/8 1/01/2009 4/30/2009  ON
Serial: 70171614 MANUAL 1/01/2009

WATER 67640991 23-751210 1701 IZAAK WALTON RD 1.000 S-P 5/8" 1/01/2008 2/05/2008  ON
Serial: 67640991 MANUAL 1/01/2008

WATER 68691882 23-751288 1611 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2009 3/30/2009  OFF
Serial: 68691882 MANUAL

WATER 84008100 23-751290 1603 IZAAK WALTON RD 1.000 S 5/8" 1/28/2019  ON
Serial: 84008100 MANUAL

WATER 90301592 23-751297 1634 IZAAK WALTON RD 1.000 s 5/8" 8/01/2024  ON

MANUAL

WATER 67641022 23-751300 1601 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2008 2/05/2008  ON
Serial: 67641022 MANUAL 1/01/2008

WATER 84007934 23-751301 1600 IZAAK WALTON RD 1.000 s 5/8" 10/17/2018  ON
Serial: 84007934 MANUAL

WATER 70171315 23-751305 1587 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2009 4/30/2009  ON
Serial: 70171315 MANUAL 1/01/2009

WATER 66214231 23-751306 1585 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2006 3/03/2006  ON

Serial: 66214231 MANUAL 1/01/2006





2/11/2026 12:43 PM METER REPORT PAGE : 135

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 23 - BOOK 23

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 80002914 23-751310 1555 IZAAK WALTON RD 1.000 S 5/8" 3/01/2017  ON
Serial: 80002914 MANUAL

WATER 71458520 23-751315 1435 IZAAK WALTON RD 1.000 R-P 5/8 1/01/2010 3/31/2010 ON
Serial: 71458520 MANUAL 1/01/2010

WATER 100933475 23-751400 1719 IZAAK WALTON RD 1.000 S-IPRL  5/8" 10/06/2025  ON
Serial: 100933475 MANUAL

WATER 67641328 23-752500 1397 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2007 6/28/2007  ON
Serial: 67641328 MANUAL 1/01/2007

WATER 73681723 23-752505 1385 IZAAK WALTON RD 1.000 s 5/8" 2/25/2014  ON
Serial: 73681723 MANUAL

WATER 80003290 23-752510 1371 IZAAK WALTON RD 1.000 s 5/8" 2/03/2017  ON
Serial: 80003290 MANUAL

WATER 67640994 23-752600 1347 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2008 2/05/2008  ON
Serial: 67640994 MANUAL 1/01/2008

WATER 67641327 23-752700 1339 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2007 6/28/2007  ON
Serial: 67641327 MANUAL 1/01/2007

WATER 70171314 23-752800 1333 IZAAK WALTON RD 1.000 R-P 5/8 1/01/2009 4/30/2009  ON
Serial: 70171314 MANUAL 1/01/2009

WATER 72853927 23-752900 1301 IZAAK WALTON RD 1.000 s 5/8" 4/24/2013  ON
Serial: 72853927 MANUAL

WATER 80003292 23-752901 1305 IZAAK WALTON RD 1.000 s 5/8" 2/03/2017  ON
Serial: 80003292 MANUAL

WATER 67640990 23-752910 1289 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2008 2/05/2008  ON
Serial: 67640990 MANUAL 1/01/2008

WATER 73681673 23-752997 134 KENTMOOR FARM RD 1.000 S 5/8" 4/25/2013  ON
Serial: 73681673 MANUAL

WATER 73681671 23-752998 142 KENTMOOR FARM RD 1.000 S 5/8" 4/24/2013  ON
Serial: 73681671 MANUAL

WATER 67641314 23-753000 158 KENTMOOR FARM RD 1.000 S-P 5/8 1/01/2007 6/29/2007  ON
Serial: 67641314 MANUAL 1/01/2007

WATER 96689055 23-753015 196 KENTMOOR FARM RD 1.000 s 5/8" 7/11/2025  ON
Serial: 96689055 MANUAL

WATER 84008065 23-753045 278 KENTMOOR FARM RD 1.000 s 5/8" 2/27/2018  OFF
Serial: 84008065 1.000 MANUAL

WATER 75618672 23-753050 294 KENTMOOR FARM RD 1.000 s 5/8" 4/27/2015  ON
Serial: 75618672 MANUAL

WATER 70171250 23-753495 470 KENTMOOR FARM RD 1.000 S-P 5/8 1/01/2009 12/10/2009  ON
Serial: 70171250 MANUAL

WATER 70171312 23-753500 476 KENTMOOR FARM RD 1.000 R-P 5/8 1/01/2009 4/30/2009  ON
Serial: 70171312 MANUAL 1/01/2009

WATER 59011125 23-753520 494 KENTMOOR FARM RD 1.000 S-P 5/8 1/01/2002 8/12/2002  ON
Serial: 59011125 MANUAL

WATER 90301747 23-753530 550 KENTMOOR FARM RD 1.000 S 5/8" 6/16/2021  ON
Serial: 90301747 MANUAL

WATER 71458608 23-754095 653 KENTMOOR FARM RD 1.000 S-P 5/8 1/01/2010 3/29/2010  ON
Serial: 71458608 MANUAL 1/01/2010

WATER 59660688 23-754096 649 KENTMOOR FARM RD 1.000 S-P 5/8 1/01/2002 5/10/2002  ON

Serial: 59660688 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 136

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 23 - BOOK 23

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 67641024 23-754100 629 KENTMOOR FARM RD 1.000 S-P 5/8 1/01/2008 2/05/2008  ON
Serial: 67641024 MANUAL 1/01/2008

WATER 71458559 23-754150 611 KENTMOOR FARM RD 1.000 R-P 5/8 1/01/2010 1/01/2010  ON
Serial: 71458559 MANUAL 1/01/2010

WATER 70171509 23-754155 609 KENTMOOR RD 1.000 R-P 5/8 1/01/2009 4/29/2009  ON
Serial: 70171509 MANUAL 1/01/2009

WATER 71458611 23-754160 136 MUNDYS MILL RD 1.000 S-P 5/8 1/01/2010 3/31/2010 ON
Serial: 71458611 MANUAL 1/01/2010

WATER 82386627 23-754175 570 KENTMOOR FARM RD 1.000 s 5/8" 11/29/2018  ON
Serial: 82386627 MANUAL

WATER 59295902 23-754180 575 KENTMOOR FARM RD 1.000 S-P 5/8 1/01/2002 10/01/2002  ON
Serial: 59295902 MANUAL

WATER 67640989 23-754200 541 KENTMOOR FARM RD 1.000 S-P 5/8 1/01/2008 2/05/2008  ON
Serial: 67640989 MANUAL 1/01/2008

WATER 59295906 23-754205 485 KENTMOOR FARM RD 1.000 S-P 5/8 1/01/2002 10/01/2002  ON
Serial: 59295906 MANUAL

WATER 67641302 23-754247 361 KENTMOOR FARM RD 1.000 S-P 5/8 1/01/2007 9/12/2007  ON
Serial: 67641302 MANUAL

WATER 93238872 23-754250 321 KENTMOOR FARM RD 1.000 S-IPRL  5/8" 2/10/2026  ON
Serial: 93238872 MANUAL

WATER 90301602 23-754290 344 KENTMOOR FARM RD 1.000 S 5/8" 5/28/2024  ON
Serial: 90301602 MANUAL

WATER 90301601 23-754291 360 KENTMOOR FARM RD 1.000 S 5/8" 5/28/2024  ON
Serial: 90301601 MANUAL

WATER 94814833 23-754292 366 KENTMOOR FARM RD 1.000 S-IPRL 5/8" 7/08/2025  ON
Serial: 94814833 MANUAL

WATER 96689051 23-754293 374 KENTMOOR FARM RD 1.000 S 5/8" 7/01/2025  ON
Serial: 96689051 MANUAL

WATER 70171514 23-754300 271 KENTMOOR FARM RD 1.000 S-P 5/8 1/01/2009 4/29/2009  ON
Serial: 70171514 MANUAL 1/01/2009

WATER 63056574 23-754375 213 KENTMOOR FARM RD 1.000 S-P 5/8 1/01/2006 6/19/2006  ON
Serial: 63056574 MANUAL

WATER 73681674 23-754385 201 KENTMOOR FARM RD 1.000 s 5/8" 4/23/2013  ON
Serial: 73681674 MANUAL

WATER 94814839 23-754388 204 KENTMOOR FARM RD 1.000 S 5/8" 6/02/2025  ON
Serial: 94814839 MANUAL

WATER 71418564 23-754395 193 KENTMOOR FARM RD 1.000 R-P 5/8 1/01/2010 3/29/2010  ON
Serial: 71418564 MANUAL 1/01/2010

WATER 67641108 23-754400 191 KENTMOOR FARM RD 1.000 S-P 5/8 1/01/2007 8/01/2007  ON
Serial: 67641108 MANUAL 1/01/2007

WATER 100933511 23-754409 180 KENTMOOR FARM RD 1.000 S 5/8" 2/04/2026  ON
Serial: 100933511 MANUAL

WATER 100933512 23-754410 181 KENTMOOR FARM RD 1.000 S-IPRL  5/8" 1/07/2026  ON
Serial: 100933512 MANUAL

WATER 86011828 23-754415 171 KENTMOOR FARM RD 1.000 S 5/8" 5/28/2019  ON
Serial: 86011828 MANUAL

WATER 67641422 23-754500 149 KENTMOOR FARM RD 1.000 S-P 5/8 1/01/2007 6/28/2007  ON

Serial: 67641422 MANUAL 1/01/2007





2/11/2026 12:43 PM METER REPORT PAGE : 137
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 23 - BOOK 23
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 71458533 23-754505 139 KENTMOOR FARM RD 1.000 S 5/8" 11/18/2010  ON
Serial: 71458533 MANUAL
WATER 96689079 23-754509 119 KENTMOOR FARM RD 1.000 S-IPRL  5/8" 4/15/2025  ON
Serial: 96689079 MANUAL
WATER 71458606 23-754595 1267 IZAAK WALTON RD 1.000 R-P 5/8 1/01/2010 3/29/2010  ON
Serial: 71458606 MANUAL 1/01/2010
WATER 71458609 23-754600 1229 IZAAK WALTON RD 1.000 R-P 5/8 1/01/2010 3/29/2010 ON
Serial: 71458609 MANUAL 1/01/2010
WATER 70171182 23-754605 1215 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2010 3/29/2010 ON
Serial: 70171182 MANUAL 1/01/2010
WATER 756187724 23-754606 1237 IZAAK WALTON RD 1.000 S 5/8" 6/09/2014  ON
Serial: 75618724 MANUAL
WATER 100933471 23-754607 126 DALE DR 1.000 S-IPRL 5/8" 8/11/2025  ON
Serial: 100933471 MANUAL
WATER 73681715 23-754608 136 DALE DR 1.000 S 5/8" 6/28/2012  ON
MANUAL
WATER 72853909 23-754609 144 DALE DR 1.000 S 5/8" 12/15/2011 12/15/2011  ON
Serial: 72853909 MANUAL
WATER 72853911 23-754610 154 DALE DR 1.000 S 5/8" 8/23/2011  ON
Serial: 72853911 MANUAL
WATER 72853895 23-754611 294 SAMSON WAY 1.000 S 5/8" 9/14/2011  ON
Serial: 72853895 MANUAL
WATER 71458507 23-754612 295 SAMSON WAY 1.000 s 5/8" 10/26/2010  ON
Serial: 71458507 MANUAL
WATER 70171593 23-754613 293 SAMSON WAY 1.000 S-P 5/8 1/01/2009 9/08/2009  ON
Serial: 70171593 MANUAL
WATER 70171212 23-754614 285 SAMSON WAY 1.000 S-P 5/8 1/01/2009 10/08/2009  ON
Serial: 70171212 MANUAL
WATER 70171210 23-754615 277 SAMSON WAY 1.000 S-P 5/8 1/01/2009 10/08/2009  ON
Serial: 70171210 MANUAL
WATER 71032121 23-754616 265 SAMSON WAY 1.000 S-P 5/8 1/01/2010 3/15/2010  ON
Serial: 71032121 MANUAL 1/01/2010
WATER 71032018 23-754617 259 SAMSON WAY 1.000 s 5/8" 11/18/2010  ON
Serial: 71032018 MANUAL
WATER 72853940 23-754618 255 SAMSON WAY 1.000 S 5/8" 5/26/2011  ON
Serial: 72853940 MANUAL
WATER 82386626 23-754619 231 SAMSON WAY 1.000 S 5/8" 7/25/2017  ON
Serial: 82386626 MANUAL
WATER 71032054 23-754620 201 SAMSON WAY 1.000 S 5/8" 7/29/2010  ON
Serial: 71032054 MANUAL
WATER 71032013 23-754621 195 SAMSON WAY 1.000 S 5/8" 6/29/2010  ON
Serial: 71032013 MANUAL
WATER 71032016 23-754622 187 SAMSON WAY 1.000 S 5/8" 8/25/2010  ON
Serial: 71032016 MANUAL
WATER 71032017 23-754623 177 SAMSON WAY 1.000 S 5/8" 5/11/2010 ON
Serial: 71032017 MANUAL
WATER 71032051 23-754624 163 SAMSON WAY 1.000 S 5/8" 6/18/2010  ON

MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 138

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 23 - BOOK 23

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 72853908 23-754625 161 SAMSON WAY 1.000 S 5/8" 8/24/2011 8/29/2011  ON
Serial: 72853908 MANUAL

WATER 71458552 23-754626 151 SAMSON WAY 1.000 S 5/8" 3/08/2011  ON
Serial: 71458552 MANUAL

WATER 90301709 23-754627 147 SAMSON WAY 1.000 S 5/8" 1/18/2023  ON
Serial: 90301709 MANUAL

WATER 70171297 23-754628 135 SAMSON WAY 1.000 S-P 5/8 1/01/2010 1/27/2010  ON
Serial: 70171297 MANUAL

WATER 70171172 23-754629 129 SAMSON WAY 1.000 S-P 5/8 1/01/2010 2/18/2010  ON
Serial: 70171172 MANUAL

WATER 701712327 23-754630 123 SAMSON WAY 1.000 S-P 5/8 1/01/2009 2/13/2009  ON
Serial: 70171232 MANUAL 1/01/2009

WATER 70171378 23-754632 142 SAMSON WAY 1.000 S 5/8" 10/06/2011  ON
Serial: 70171378 MANUAL

WATER 70171469 23-754633 150 SAMSON WAY 1.000 S-P 5/8 1/01/2009 10/19/2009  ON
Serial: 70171469 MANUAL 1/01/2009

WATER 701715404 23-754635 174 SAMSON WAY 1.000 S 5/8" 3/28/2012 4/03/2012  ON
Serial: 70171504 MANUAL

WATER 90301424 23-754638 208 SAMSON WAY 1.000 S 5/8" 3/05/2024  ON
Serial: 90301424 MANUAL

WATER 84008093 23-754639 240 SAMSON WAY 1.000 s 5/8" 11/16/2023  ON
Serial: 84008093 MANUAL

WATER 73681831 23-754643 155 DALE DR 1.000 S 5/8" 9/04/2012  ON
Serial: 73681831 MANUAL

WATER 75618852 23-754644 131 DALE DR 1.000 S 5/8" 1/02/2014  ON
Serial: 75618852 MANUAL

WATER 73988029 23-754645 1177 IZAAK WALTON RD 1.000 s 5/8" 2/25/2014  ON
Serial: 73988029 MANUAL

WATER 71458485 23-754648 1149 IZAAK WALTON RD 1.000 S 5/8" 3/31/2011  ON
Serial: 71458485 MANUAL

WATER 48350357 23-754650 1129 IZAAK WALTON RD 1.000 R-P 5/8 1/01/1995 4/05/1995  ON
Serial: 48350357 MANUAL 1/01/1995

WATER 88239807 23-754675 1113 IZAAK WALTON RD 1.000 S 5/8" 5/18/2021  ON
Serial: 88239807 MANUAL

WATER 63056512 23-754700 1107 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2006 7/26/2006  ON
Serial: 63056512 MANUAL

WATER 63056473 23-754701 1101 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2006 8/02/2006  ON
Serial: 63056473 MANUAL

WATER 66510723 23-754705 1089 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2006 11/06/2006  ON
Serial: 66510723 MANUAL

WATER 66510744 23-754710 1079 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2000 12/12/2006  ON
Serial: 66510744 MANUAL 1/01/2000

WATER 73681716 23-754711 127 DALE DR 1.000 S 5/8" 7/17/2012 7/12/2012  ON
Serial: 73681716 MANUAL

WATER 72853900 23-754712 121 DALE DR 1.000 s 5/8" 10/06/2011  ON
Serial: 72853900 MANUAL

WATER 72076828 23-754713 249 SAMSON WAY 1.000 s 5/8" 11/10/2011  ON

Serial: 72076828 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 139

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 23 - BOOK 23

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 68691799 23-754749 1065 IZAAK WALTON RD A & B 1.000 S-P 5/8 1/01/2008 9/03/2008  ON
Serial: 68691799 MANUAL

WATER 71458516 23-754750 1055 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2010 3/31/2010  ON
Serial: 71458516 MANUAL 1/01/2010

WATER 71458519 23-754755 1043 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2010 3/31/2010  ON
Serial: 71458519 MANUAL 1/01/2010

WATER 71458518 23-754780 813 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2010 3/31/2010 ON
Serial: 71458518 MANUAL 1/01/2010

WATER 88239759 23-754781 797 IZAAK WALTON RD 1.000 S 5/8" 3/10/2021  ON
Serial: 88239759 MANUAL

WATER 59660578 23-754790 749 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2002 5/31/2002 ON
Serial: 59660578 MANUAL

WATER 73987932 23-754791 747 IZAAK WALTON RD 1.000 S 5/8" 10/23/2012  ON
Serial: 73987932 MANUAL

WATER 86011829 23-754793 745 IZAAK WALTON RD 1.000 s 5/8" 5/28/2019  ON
Serial: 86011829 MANUAL

WATER 60181332 23-754797 741 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2002 12/16/2002  ON
Serial: 60181332 MANUAL

WATER 59011057 23-754798 735 IZAAK WALTON RD 1.000 S-P 5/8 2/01/2002 2/04/2002  ON
Serial: 59011057 MANUAL

WATER 71458566 23-754801 164 ALMAE DR 1.000 S-P 5/8 1/01/2010 3/31/2010 ON
Serial: 71458566 MANUAL 1/01/2010

WATER 71458569 23-754802 632 PARTRIDGE CREEK RD 1.000 S-P 5/8 1/01/2010 3/31/2010 ON
Serial: 71458569 MANUAL 1/01/2010

WATER 71458568 23-754803 612 PARTRIDGE CREEK RD 1.000 S-P 5/8 1/01/2010 3/31/2010  ON
Serial: 71458568 MANUAL 1/01/2010

WATER 71458565 23-754804 600 PARTRIDGE CREEK RD 1.000 S-P 5/8 1/01/2010 3/31/2010  ON
Serial: 71458565 MANUAL 1/01/2010

WATER 71458488 23-754805 240 ALMAE DR 1.000 S-P 5/8 1/01/2010 3/31/2010  ON
Serial: 71458488 MANUAL 1/01/2010

WATER 71458486 23-754806 161 ALMAE DR 1.000 S-P 5/8 1/01/2010 3/31/2010 ON
Serial: 71458486 MANUAL 1/01/2010

WATER 73681724 23-754807 151 ALMAE DR 1.000 s 5/8" 2/25/2014  ON
Serial: 73681724 MANUAL

WATER 96688945 23-754808 218 ALMAE DR 1.000 s 5/8" 10/09/2024  ON
Serial: 96688945 MANUAL

WATER 60181413 23-754820 583 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2003 8/27/2024  ON
Serial: 60181413 MANUAL

WATER 66510684 23-754824 561 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2006 8/30/2006  ON
Serial: 66510684 MANUAL

WATER 71458489 23-754845 509 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2010 3/31/2010  ON
Serial: 71458489 MANUAL 1/01/2010

WATER 90301510 23-754848 471 IZAAK WALTON RD 1.000 s 5/8" 4/17/2023  ON
Serial: 90301510 MANUAL

WATER 71458490 23-754850 467 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2010 3/31/2010 ON
Serial: 71458490 MANUAL 1/01/2010

WATER 66510753 23-754851 455 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2006 11/22/2006  ON

Serial: 66510753 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 140
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT

DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes

DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999

BOOK: 23 - BOOK 23
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
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2/11/2026 12:43 PM METER REPORT PAGE : 141

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 23 - BOOK 23

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 71458592 23-757345 784 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2010 4/01/2010  ON
Serial: 71458592 MANUAL 1/01/2010

WATER 56458054 23-757347 794 IZAAK WALTON RD 1.000 S-P 5/8 1/01/1999 11/28/2000  ON
Serial: 56458054 MANUAL

WATER 75618634 23-757348 802 IZAAK WALTON RD 1.000 S 5/8" 10/15/2015  ON
Serial: 75618634 MANUAL

WATER 71458538 23-757350 810 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2010 4/01/2010 ON
Serial: 71458538 MANUAL 1/01/2010

WATER 54578817 23-757353 828 IZAAK WALTON RD 1.000 S-P 5/8 1/01/1998 2/28/2000  ON
Serial: 54578817 MANUAL

WATER 63056507 23-757354 836 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2006 7/26/2006  ON
Serial: 63056507 MANUAL

WATER 71458536 23-757357 862 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2010 4/01/2010  ON
Serial: 71458536 MANUAL 1/01/2010

WATER 59295831 23-757358 872 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2002 3/04/2002  ON
Serial: 59295831 MANUAL

WATER 71458590 23-757360 876 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2010 4/01/2010  ON
Serial: 71458590 MANUAL 1/01/2010

WATER 75618765 23-757362 890 IZAAK WALTON RD 1.000 s 5/8" 11/06/2014  ON
Serial: 75618765 MANUAL

WATER 73681720 23-757363 148 LITTLE HAWK LN 1.000 s 5/8" 2/25/2014  ON
Serial: 73681720 MANUAL

WATER 90301727 23-757367 898 IZAAK WALTON RD 1.000 S 5/8" 9/15/2022  ON
Serial: 90301727 MANUAL

WATER 71458589 23-757368 910 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2010 4/01/2010  ON
Serial: 71458589 MANUAL 1/01/2010

WATER 88239777 23-757372 926 IZAAK WALTON RD 1.000 S 5/8" 2/07/2022  ON
Serial: 88239777 MANUAL

WATER 80003341 23-757376 952 IZAAK WALTON RD 1.000 S 5/8" 2/06/2017  ON
Serial: 80003341 MANUAL

WATER 73987864 23-757377 970 IZAAK WALTON RD 1.000 S 5/8" 5/30/2012 ON
Serial: 73987864 MANUAL

WATER 75618654 23-757381 978 IZAAK WALTON RD 1.000 s 5/8" 4/24/2015  ON
Serial: 75618654 MANUAL

WATER 75618735 23-757382 1036 IZAAK WALTON RD 1.000 s 5/8" 4/24/2015  ON
Serial: 75618735 MANUAL

WATER 73681688 23-757383 1048 IZAAK WALTON RD 1.000 S 5/8" 4/25/2013  ON
Serial: 73681688 MANUAL

WATER 75618732 23-757384 1068 IZAAK WALTON RD 1.000 S 5/8" 4/24/2015  ON
Serial: 75618732 MANUAL

WATER 71031999 23-757385 1072 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2010 4/01/2010  ON
Serial: 71031999 MANUAL 1/01/2010

WATER 75618655 23-757386 1086 IZAAK WALTON RD 1.000 s 5/8" 4/24/2015  ON
Serial: 75618655 MANUAL

WATER 90301787 23-757387 136 PLEASANT RIDGE DR 1.000 S 5/8" 6/16/2021  ON
Serial: 90301787 MANUAL

WATER 90301786 23-757388 142 PLEASANT RIDGE DR 1.000 S 5/8" 6/16/2021  OFF

Serial: 90301786 1.000 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 142

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 23 - BOOK 23

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 63056464 23-757389 124 NORTHRIDGE PL 1.000 S-P 5/8 1/01/2006 6/12/2006  ON
Serial: 63056464 MANUAL

WATER 90301785 23-757390 128 NORTHRIDGE PL 1.000 s 5/8" 6/16/2021  ON
Serial: 90301785 MANUAL

WATER 86011827 23-757391 132 NORTHRIDGE PL 1.000 S 5/8" 5/28/2019  ON
Serial: 86011827 MANUAL

WATER 84007984 23-757392 150 NORTHRIDGE PL 1.000 S 5/8" 3/19/2018 ON
Serial: 84007984 MANUAL

WATER 86011826 23-757393 156 NORTHRIDGE PL 1.000 S 5/8" 5/29/2019  OFF
Serial: 86011826 1.000 MANUAL

WATER 59295930 23-757394 164 NORTHRIDGE DR 1.000 S-P 5/8 1/01/2002 7/11/2002  ON
Serial: 59295930 MANUAL 1/01/2002

WATER 86011896 23-757395 178 NORTHRIDGE PL 1.000 S 5/8" 5/29/2019  ON
Serial: 86011896 MANUAL

WATER 86011897 23-757396 182 NORTHRIDGE PL 1.000 s 5/8" 5/29/2019  ON
Serial: 86011897 MANUAL

WATER 90301783 23-757397 183 NORTHRIDGE PL 1.000 S 5/8" 6/17/2021  ON
Serial: 90301783 MANUAL

WATER 90301784 23-757398 179 NORTHRIDGE PL 1.000 S 5/8" 6/17/2021  ON
Serial: 90301784 MANUAL

WATER 88240089 23-757399 173 NORTHRIDGE PL 1.000 S 5/8" 6/17/2021  ON
Serial: 88240089 MANUAL

WATER 59295988 23-757400 163 NORTHRIDGE PL 1.000 S-P 5/8 1/01/2002 4/23/2002  ON
Serial: 59295988 MANUAL

WATER 86011793 23-757401 159 NORTHRIDGE PL 1.000 S 5/8" 8/22/2019  ON
Serial: 86011793 MANUAL

WATER 86011790 23-757402 143 NORTHRIDGE PL 1.000 s 5/8" 8/22/2019  ON
Serial: 86011790 MANUAL

WATER 86011684 23-757403 139 NORTHRIDGE PL 1.000 S 5/8" 8/26/2019  ON
Serial: 86011684 MANUAL

WATER 86011685 23-757404 131 NORTHRIDGE PL 1.000 S 5/8" 8/26/2019  ON
Serial: 86011685 MANUAL

WATER 88240090 23-757405 121 NORTHRIDGE PL 1.000 S 5/8" 6/17/2021  ON
Serial: 88240090 MANUAL

WATER 84008115 23-757406 172 PLEASANT RIDGE DR 1.000 S 5/8" 4/01/2019 4/17/2019  ON
Serial: 84008115 MANUAL

WATER 80003266 23-757407 176 PLEASANT RIDGE DR 1.000 S 5/8" 3/12/2019 4/17/2019  ON
Serial: 80003266A MANUAL

WATER 70171213 23-757408 186 PLEASANT RIDGE DR 1.000 S-P 5/8 1/01/2009 10/19/2009  ON
Serial: 70171213 MANUAL

WATER 70171209 23-757409 112 SHADWELL LN 1.000 S-P 5/8 1/01/2009 10/19/2009 ON
Serial: 70171209 MANUAL

WATER 67641403 23-757461 114 CAMBRIDGE CT 1.000 S-P 5/8 1/01/2007 5/30/2007  ON
Serial: 67641403 MANUAL 1/01/2007

WATER 90301524 23-757463 158 CAMBRIDGE CT 1.000 S 5/8" 8/01/2022  ON
Serial: 90301524 MANUAL

WATER 67641339 23-757464 168 CAMBRIDGE CT 1.000 S-P 5/8 1/01/2007 8/30/2007  ON

Serial: 67641339 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 143

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 23 - BOOK 23

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 84007931 23-757465 176 CAMBRIDGE CT 1.000 S 5/8" 8/06/2020  ON
Serial: 84007931 MANUAL

WATER 88239803 23-757466 184 CAMBRIDGE CT 1.000 S 5/8" 6/03/2021 6/09/2021  ON
Serial: 88239803 MANUAL

WATER 66213678 23-757467 192 CAMBRIDGE CT 1.000 S-P 5/8 1/01/2006 12/27/2006  ON
Serial: 66213678 MANUAL

WATER 100933476 23-757469 203 CAMBRIDGE CT 1.000 S-IPRL  5/8" 10/03/2025  ON
Serial: 100933476 MANUAL

WATER 68692013 23-757470 199 CAMBRIDGE CT 1.000 S-P 5/8 1/01/2008 5/14/2008  ON
Serial: 68692013 MANUAL 1/01/2008

WATER 100933500 23-757471 187 CAMBRIDGE CT 1.000 S-IPRL  5/8" 9/03/2025  ON
Serial: 100933500 MANUAL

WATER 86011668 23-757472 181 CAMBRIDGE CT 1.000 S 5/8" 9/18/2019  ON
Serial: 86011668 MANUAL

WATER 71458452 23-757474 169 CAMBRIDGE CT 1.000 s 5/8" 6/01/2011  ON
Serial: 71458452 MANUAL

WATER 67641076 23-757475 151 CAMBRIDGE CT 1.000 S-P 5/8 1/01/2007 11/29/2007  ON
Serial: 67641076 MANUAL

WATER 67412727 23-757477 139 CAMBRIDGE CT 1.000 S-P 5/8 1/01/2007 2/22/2007  ON
Serial: 67412727 MANUAL

WATER 70171384 23-757478 119 CAMBRIDGE CT 1.000 S-P 5/8 1/01/2009 5/12/2009  ON
Serial: 70171384 MANUAL

WATER 71032113 23-757479 115 CAMBRIDGE CT 1.000 S-P 5/8 1/01/2010 12/16/2009  ON
Serial: 71032113 MANUAL

WATER 68691858 23-757481 157 PARKWOOD DR 1.000 s-P 5/8 1/01/2008 5/14/2008  ON
Serial: 68691858 MANUAL 1/01/2008

WATER 67412635 23-757483 147 PARKWOOD DR 1.000 S-P 5/8 1/01/2007 3/27/2007  ON
Serial: 67412635 MANUAL

WATER 67641338 23-757484 143 PARKWOOD DR 1.000 S-P 5/8 1/01/2007 9/05/2007  ON
Serial: 67641338 MANUAL

WATER 73988015 23-757494 1108 IZAAK WALTON RD 1.000 s 5/8" 2/25/2014  ON
Serial: 73988015 MANUAL

WATER 71031995 23-757495 1114 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2010 4/01/2010 ON
Serial: 71031995 MANUAL 1/01/2010

WATER 73987865 23-757496 1118 IZAAK WALTON RD 1.000 S 5/8" 5/30/2012  ON
Serial: 73987865 MANUAL

WATER 71458457 23-757497 1136 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2010 4/01/2010  ON
Serial: 71458457 MANUAL 1/01/2010

WATER 75618656 23-757498 1140 IZAAK WALTON RD 1.000 s 5/8" 4/24/2015  ON
Serial: 75618656 MANUAL

WATER 71458456 23-757499 1158 IZAAK WALTON RD 1.000 R-P 5/8 1/01/2010 4/01/2010  ON
Serial: 71458456 MANUAL 1/01/2010

WATER 71458461 23-757500 1170 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2010 4/01/2010 ON
Serial: 71458461 MANUAL 1/01/2010

WATER 80003035 23-757508 1208 IZAAK WALTON RD 1.000 s 5/8" 4/26/2018  ON
Serial: 80003035 MANUAL

WATER 59011056 23-757509 1218 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2002 2/13/2002  ON

Serial: 59011056 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 144

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 23 - BOOK 23

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 73681672 23-757510 1228 IZAAK WALTON RD 1.000 S 5/8" 4/24/2013  ON
Serial: 73681672 MANUAL

WATER 67641386 23-757600 1346 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2007 6/28/2007  ON
Serial: 67641386 MANUAL 1/01/2007

WATER 67641326 23-757700 1416 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2007 6/28/2007  ON
Serial: 67641326 MANUAL 1/01/2007

WATER 67641421 23-757800 1436 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2007 6/28/2007  ON
Serial: 67641421 MANUAL 1/01/2007

WATER 67641423 23-757900 1444 TZAAK WALTON RD 1.000 S-P 5/8 1/01/2007 6/28/2007  ON
Serial: 67641423 MANUAL 1/01/2007

WATER 67641325 23-758000 1452 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2007 6/28/2007  ON
Serial: 67641325 MANUAL 1/01/2007

WATER 80003438 23-758005 1684 IZAAK WALTON RD 1.000 S 5/8" 10/18/2016  OFF
Serial: 80003438 1.000 MANUAL

WATER 73987805 23-758020 1490 IZAAK WALTON RD 1.000 s 5/8" 6/28/2012  ON
Serial: 73987805 MANUAL

WATER 88240088 23-758021 1494 IZAAK WALTON RD 1.000 S 5/8" 6/17/2021  ON
Serial: 88240088 MANUAL

WATER 71458458 23-758022 1504 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2010 4/01/2010 ON
Serial: 71458458 MANUAL 1/01/2010

WATER 71458459 23-758023 1510 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2010 4/01/2010 ON
Serial: 71458459 MANUAL 1/01/2010

WATER 71031997 23-758024 1520 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2010 4/01/2010 ON
Serial: 71031997 MANUAL 1/01/2010

WATER 102111272 23-758025  LOT 1 STONEY CREEK DR 1.000 S-IPRL 5/8" 1/08/2026  ON
Serial: 102111272 MANUAL

WATER 63056523 23-758026 152 STONEY CREEK DR 1.000 S-P 5/8 1/01/2006 4/25/2006  ON
Serial: 63056523 MANUAL

WATER 60181319 23-758027 158 STONEY CREEK RD 1.000 S-P 5/8 1/01/2006 11/07/2006  ON
Serial: 60181319 MANUAL

WATER 100933503 23-758028 172 STONEY CREEK DR 1.000 S-IPRL  5/8" 9/22/2025  ON
Serial: 100933503 MANUAL

WATER 75618728 23-758029 178 STONEY CREEK DR 1.000 S 5/8" 5/27/2014 5/27/2014  ON
Serial: 75618728 MANUAL

WATER 66510719 23-758031 188 STONEY CREEK DR 1.000 S-P 5/8 1/01/2006 9/18/2006  ON
Serial: 66510719 MANUAL 1/01/2006

WATER 73681681 23-758032 208 STONEY CREEK DR 1.000 S 5/8" 7/16/2013  ON
Serial: 73681681 MANUAL

WATER 63056510 23-758033 210 STONEY CREEK DR 1.000 S-P 5/8 1/01/2006 7/31/2006  ON
Serial: 63056510 MANUAL 1/01/2006

WATER 70171296 23-758036 232 STONEY CREEK DR 1.000 S-P 5/8 1/01/2009 12/17/2009  ON
Serial: 70171296 MANUAL

WATER 67641407 23-758037 229 STONEY CREEK DR 1.000 S-P 5/8 1/01/2007 4/30/2007  ON
Serial: 67641407 MANUAL

WATER 67641347 23-758038 227 STONEY CREEK DR 1.000 S-P 5/8 1/01/2007 8/06/2007  ON
Serial: 67641347 MANUAL

WATER 63056535 23-758039 211 STONEY CREEK DR 1.000 S-P 5/8 1/01/2006 4/25/2006  ON

Serial: 63056535 MANUAL 1/01/2006





2/11/2026 12:43 PM METER REPORT PAGE : 145

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 23 - BOOK 23

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 63056499 23-758040 201 STONEY CREEK DR 1.000 S-P 5/8 1/01/2006 4/25/2006  ON
Serial: 63056499 MANUAL

WATER 67641064 23-758041 193 STONEY CREEK RD 1.000 S-P 5/8 1/01/2008 1/08/2008  ON
Serial: 67641064 MANUAL

WATER 63056495 23-758042 171 STONEY CREEK DR 1.000 S-P 5/8 1/01/2006 4/14/2006  ON
Serial: 63056495 MANUAL

WATER 63056474 23-758043 165 STONEY CREEK DR 1.000 S-P 5/8 1/01/2006 8/16/2006  ON
Serial: 63056474 MANUAL

WATER 66510708 23-758045 147 STONEY CREEK DR 1.000 S-P 5/8 1/01/2006 11/07/2006  ON
Serial: 66510708 MANUAL

WATER 73681887 23-758070 1542 IZAAK WALTON RD 1.000 s 5/8" 4/25/2013  ON
Serial: 73681887 MANUAL

WATER 73987802 23-758071 1550 IZAAK WALTON RD 1.000 S 5/8" 6/28/2012  ON
Serial: 73987802 MANUAL

WATER 71458593 23-758072 1554 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2010 4/01/2010  ON
Serial: 71458593 MANUAL 1/01/2010

WATER 68691972 23-758100 1704 IZAAK WALTON RD 1.000 R-P 5/8 1/01/2009 3/31/2010  ON
Serial: 68691972 MANUAL 1/01/2009

WATER 73681738 23-758116 1722 IZAAK WALTON RD 1.000 S 5/8" 6/03/2013  ON
Serial: 73681738 MANUAL

WATER 84007935 23-758118 108 BETHLEHEM DR 1.000 s 5/8" 11/20/2018  ON
Serial: 84007935 MANUAL

WATER 54578628 23-758190 1898 IZAAK WALTON RD 1.000 S-P 5/8 1/01/1998 2/23/1999  OFF
Serial: 54578628 MANUAL

WATER 68691829 23-758198 1954 IZAAK WALTON RD 1.000 S-P 5/8 1/01/2008 3/03/2008  ON
Serial: 68691829 MANUAL

WATER 88240087 23-758200 1972 IZAAK WALTON RD 1.000 s 5/8" 6/17/2021  ON
Serial: 88240087 MANUAL

WATER 96689065 23-758300 2006 IZAAK WALTON RD 1.000 S-IPRL  5/8" 12/17/2024  ON
Serial: 96689065 MANUAL

WATER 80003503 23-758304 2018 IZAAK WALTON RD 1.000 s 5/8" 2/09/2017  ON
Serial: 80003503 MANUAL

WATER 75618701 23-758305 2032 IZAAK WALTON RD 1.000 s 5/8" 12/17/2014  ON
Serial: 75618701 MANUAL

WATER 72853857 23-758595 191 IZAAK RD 1.000 S 5/8" 3/31/2011 ON
Serial: 72853857 MANUAL

WATER 68691969 23-758600 179 IZAAK RD 1.000 R-P 5/8 1/01/2009 1/22/2009  ON
Serial: 68691969 MANUAL 1/01/2009

WATER 68692054 23-758700 167 IZAAK RD 1.000 R-P 5/8 1/01/2009 1/22/2009  ON
Serial: 68692054 MANUAL 1/01/2009

WATER 68692055 23-758900 155 IZAAK RD 1.000 R-P 5/8 1/01/2009 1/22/2009  ON
Serial: 68692055 MANUAL 1/01/2009

WATER 59011134 23-759200 153 IZARK RD 1.000 S-P 5/8 1/01/2002 5/29/2002  ON
Serial: 59011134 MANUAL 1/01/2002

WATER 68692052 23-759300 147 IZARK RD 1.000 R-P 5/8 1/01/2009 1/22/2009  ON
Serial: 68692052 MANUAL 1/01/2009

WATER 68692111 23-759400 139 IZAAK RD 1.000 R-P 5/8 1/01/2009 1/22/2009  ON

Serial: 68692111 MANUAL 1/01/2009





2/11/2026 12:43 PM METER REPORT

DT PURCHSED: 0/00/0000 TO 99/99/9999

DT INSTALL: 1/01/1900 TO 2/11/2026

DT REPAIR: (0/00/0000 TO 99/99/9999

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 23 - BOOK 23

--MAKE--
--TYPE--

PAGE : 146
SEQ :ACCOUNT
SIZE :All Sizes
MAKE :All Makes

-INSTALL DATE-
--TESTED DATE-- STAT

————— SERVICE ADDRESS ------ -SCALE--

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE-

WATER 68692056 23-759500 1287 DIXIE AIRPORT RD 1.000
Serial: 68692056

WATER 68692108 23-759600 131 IZAAK RD 1.000

Serial: 68692108

R-P
MANUAL
R-P
MANUAL

--SIZE--- -PURCHASE DATE-
--PRICE-- --REPAIR DATE--
5/8 1/01/2009
5/8 1/01/2009

1/22/2009 ON
1/01/2009
1/22/2009 ON
1/01/2009





2/11/2026 12:43 PM METER REPORT PAGE : 147

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 24 - BOOK 24

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 75618851 24-782720 970 OLD STAGE RD 1.000 S 5/8" 1/21/2014  ON
Serial: 75618851 MANUAL

WATER 84008023 24-782772 1062 OLD STAGE RD 1.000 S 5/8" 3/28/2018  ON
Serial: 84008023 MANUAL

WATER 68692102 24-782801 1104 OLD STAGE RD 1.000 S-P 5/8 1/01/2008 7/01/2008  ON
Serial: 68692102 MANUAL

WATER 86011716 24-782849 1150 OLD STAGE RD 1.000 s 5/8" 4/22/2020  ON
Serial: 86011716 MANUAL

WATER 82386355 24-782850 1151 OLD STAGE ROAD 1.000 s 5/8" 1/05/2018  ON
Serial: 82386355 MANUAL

WATER 80002908 24-782950 1277 OLD STAGE RD 1.000 S 5/8" 9/21/2021  ON
Serial: 80002908 MANUAL

WATER 72853892 24-783500 428 STAGE RD 1.000 S 5/8" 4/03/2012  ON
Serial: 72853892 MANUAL

WATER 68708215 24-804026 140 MEADOW RIDGE LN 1.000 s 1 1/01/2008 8/05/2008  ON
Serial: 68708215 MANUAL

WATER 86011682 24-804028 159 MEADOW RIDGE LN 1.000 S 5/8" 8/26/2019  ON
Serial: 86011682 MANUAL

WATER 63056465 24-804029 153 MEADOW RIDGE LN 1.000 S 1 1/01/2004 8/09/2004  ON
Serial: 63056465 MANUAL

WATER 86011741 24-804031 105 MEADOW RIDGE LN 1.000 S 5/8" 3/16/2020  ON
Serial: 86011741 MANUAL

WATER 84008022 24-804040 487 LONDON LN 1.000 S 5/8" 3/28/2018  ON
Serial: 84008022 MANUAL

WATER 63056459 24-804043 114 TAVERN LN 1.000 S-P 5/8 1/01/2006 8/31/2011  ON
Serial: 63056459 MANUAL

WATER 88240086 24-804047 151 TAVERN LN 1.000 s 5/8" 6/17/2021  ON
Serial: 88240086 MANUAL

WATER 71458555 24-804060 124 GOLF COURSE TRAIL 1.000 S 5/8" 5/27/2011  ON
Serial: 71458555 MANUAL

WATER 63056461 24-804061 126 GOLF COURSE TRAIL 1.000 S-P 5/8" 1/01/2006 5/25/2006  ON
Serial: 63056461 MANUAL

WATER 68691827 24-804070 182 FOREST CANOPY DR 1.000 S-P 5/8 1/01/2008 2/19/2008  ON
Serial: 68691827 MANUAL

WATER 63056522 24-804072 212 FOREST CANOPY DR 1.000 S-P 1/01/2006 3/23/2006  ON
Serial: 63056522 MANUAL

WATER 90301529 24-804076 189 FOREST CANOPY DR 1.000 S 5/8" 4/12/2022  ON
Serial: 90301529 MANUAL

WATER 90301816 24-804078 161 FOREST CANOPY DR 1.000 s 5/8" 6/22/2022  ON
Serial: 90301816 MANUAL

WATER 88240085 24-804079 145 FOREST CANOPY DR 1.000 S 5/8" 6/17/2021  ON
Serial: 88240085 MANUAL

WATER 90301679 24-804082 125 LAKE POINT DR 1.000 S 5/8" 6/17/2021  ON
Serial: 90301679 MANUAL

WATER 90301680 24-804084 113 FOREST CANOPY DR 1.000 S 5/8" 6/17/2021  ON
Serial: 90301680 MANUAL

WATER 83703287 24-804085 497 HIGGINBOTHAM CREEK 1.000 s 1 4/04/2023  ON

Serial: 83703287 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 148
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 24 - BOOK 24
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 84008020 24-804086 267 GOLF COURSE TRAIL 1.000 s 5/8" 3/28/2018  ON
Serial: 84008020 MANUAL
WATER 60287216 24-804088 259 GOLF COURSE TRAIL 1.000 S 1 1/01/2002 12/19/2002  ON
Serial: 60287216 MANUAL
WATER 70173401 24-804089 237 GOLF COURSE TRAIL 1.000 S-P 1 1/01/2009 9/08/2009  ON
Serial: 70173401 MANUAL
WATER 90301522 24-804106 220 BEECH LN 1.000 S 5/8" 8/10/2022  ON
Serial: 90301522 MANUAL
WATER 68708217 24-804107 232 BEECH LN 1.000 S 1 1/01/2008 8/04/2008  ON
Serial: 68708217 MANUAL
WATER 67641448 24-804188 531 HIGGINBOTHAM CREEK R 1.000 S-P 5/8 1/01/2007 4/22/2007  ON
Serial: 67641448 MANUAL
WATER 68691766 24-804195 902 EBENEZER RD 1.000 S-P 5/8 1/01/2009 3/11/2009  ON
Serial: 68691766 MANUAL
WATER 68708216 24-804210 141 LONDON LN 1.000 s 1 1/01/2008 8/30/2006  ON
Serial: 68708216 MANUAL
WATER 67641331 24-804240 577 EBENEZER RD 1.000 S-P 5/8 1/01/2007 6/14/2007  ON
Serial: 67641331 MANUAL
WATER 67641544 24-804250 575 EBENEZER RD 1.000 S-P 5/8 1/01/2007 7/09/2007  ON
Serial: 67641544 MANUAL
WATER 67641542 24-804260 527 EBENEZER RD 1.000 S-P 5/8 1/01/2007 7/09/2007  ON
Serial: 67641542 MANUAL
WATER 67641449 24-804310 349 EBENEZER RD 1.000 S-P 5/8 1/01/2007 4/22/2007  ON
Serial: 67641449 MANUAL
WATER 90301674 24-804520 215 EBENEZER RD 1.000 S 5/8" 1/09/2023  ON
Serial: 90301674 MANUAL
WATER 66213766 24-804531 174 EBENEZER RD 1.000 S-P 5/8 1/01/2007 1/29/2007  ON
Serial: 66213766 MANUAL
WATER 67640851 24-804532 182 EBENEZER RD 1.000 S-P 5/8 1/01/2007 3/13/2007  ON
Serial: 67640851 MANUAL
WATER 67412665 24-804535 212 EBENEZER RD 1.000 S-P 5/8 1/01/2007 1/18/2007  ON
Serial: 67412665 MANUAL
WATER 67412677 24-804536 216 EBENEZER RD 1.000 S-P 5/8 1/01/2007 1/18/2007  ON
Serial: 67412677 MANUAL
WATER 67412807 24-804537 222 EBENEZER RD 1.000 S-P 5/8 1/01/2007 2/26/2007  ON
Serial: 67412807 MANUAL
WATER 66213768 24-804538 230 EBENEZER RD 1.000 S-P 5/8 1/01/2007 6/15/2007  ON
Serial: 66213768 MANUAL
WATER 67412808 24-804539 236 EBENEZER RD 1.000 S-P 5/8 1/01/2007 2/26/2007  ON
Serial: 67412808 MANUAL
WATER 67412680 24-804541 250 EBENEZER RD 1.000 S-P 5/8 1/01/2007 1/18/2007  ON
Serial: 67412680 MANUAL
WATER 67412668 24-804544 276 EBENEZER RD 1.000 S-P 5/8 1/01/2006 1/19/2007 ON
Serial: 67412668 MANUAL
WATER 67412724 24-804548 124 CABELL LN 1.000 S-P 5/8 1/01/2007 3/20/2007  ON
Serial: 67412724 MANUAL
WATER 67412689 24-804550 140 CABELL LN 1.000 S-P 5/8 1/01/2007 3/20/2007  ON
Serial: 67412689 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 149
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 24 - BOOK 24
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 67412653 24-804552 148 CABELL LN 1.000 S-P 5/8 1/01/2007 3/20/2007  ON
Serial: 67412653 MANUAL
WATER 67412690 24-804553 158 CABELL LN 1.000 S-P 5/8 1/01/2007 3/19/2007  ON
Serial: 67412690 MANUAL
WATER 67412694 24-804555 176 CABELL LN 1.000 S-P 5/8 1/01/2007 3/19/2007  ON
Serial: 67412694 MANUAL
WATER 88239875 24-804559 202 CABELL LN 1.000 s 5/8" 1/20/2021  OFF
Serial: 88239875 1.000 MANUAL
WATER 67412692 24-804561 218 CABELL LN 1.000 S-P 5/8 1/01/2007 3/19/2007  ON
Serial: 67412692 MANUAL
WATER 67412723 24-804562 226 CABELL LN 1.000 S-P 5/8 1/01/2007 3/20/2007  ON
Serial: 67412723 MANUAL
WATER 67412691 24-804721 295 CABELL LN 1.000 S-P 5/8 1/01/2007 3/20/2007  ON
Serial: 67412691 MANUAL
WATER 67412719 24-804726 265 CABELL LN 1.000 S-P 5/8 1/01/2007 3/27/2007  ON
Serial: 67412719 MANUAL
WATER 67412655 24-804727 259 CABELL LN 1.000 S-P 5/8 1/01/2007 3/27/2007  ON
Serial: 67412655 MANUAL
WATER 67412721 24-804728 251 CABELL LN 1.000 S-P 5/8 1/01/2007 3/27/2007  ON
Serial: 67412721 MANUAL
WATER 80002832 24-804730 235 CABELL LN 1.000 S 5/8" 6/20/2016  ON
Serial: 80002832 MANUAL
WATER 80002831 24-804731 233 CABELL LN 1.000 S 5/8" 6/20/2016  ON
Serial: 80002831 MANUAL
WATER 67412799 24-804734 187 CABELL LN 1.000 s-P 5/8 1/01/2007 3/21/2007  ON
Serial: 67412799 MANUAL
WATER 67412802 24-804736 181 CABELL LN 1.000 S-P 5/8 1/01/2007 3/21/2007  ON
Serial: 67412802 MANUAL
WATER 67412797 24-804738 175 CABELL LN 1.000 S-P 5/8 1/01/2007 3/22/2007  ON
Serial: 67412797 MANUAL
WATER 84007943 24-804739 159 CABELL LN 1.000 s 5/8" 4/16/2018  ON
Serial: 84007943 MANUAL
WATER 80003059 24-804740 151 CABELL LN 1.000 s 5/8" 1/25/2018  ON
Serial: 80003059 MANUAL
WATER 67412801 24-804741 143 CABELL LN 1.000 S-P 5/8 1/01/2007 3/21/2007  ON
Serial: 67412801 MANUAL
WATER 67412722 24-804742 139 CABELL LN 1.000 S-P 5/8 1/01/2007 3/20/2007  ON
Serial: 67412722 MANUAL
WATER 67412720 24-804743 133 CABELL LN 1.000 S-P 5/8 1/01/2007 3/20/2007  ON
Serial: 67412720 MANUAL
WATER 67412670 24-804744 115 CABELL LN 1.000 S-P 5/8 1/01/2007 3/22/2007  ON
Serial: 67412670 MANUAL
WATER 67412666 24-804747 346 EBENEZER RD 1.000 S-P 5/8 1/01/2007 1/22/2007  ON
Serial: 67412666 MANUAL
WATER 71032124 24-804757 388 EBENEZER RD 1.000 S-P 5/8 1/01/2010 3/30/2010  ON
Serial: 71032124 MANUAL
WATER 80002820 24-804758 402 EBENEZER RD 1.000 S 5/8" 8/02/2016  ON
Serial: 80002820 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 150

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 24 - BOOK 24

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 72853890 24-804759 414 EBENEZER RD 1.000 S 5/8" 12/15/2011 12/28/2011  ON
Serial: 72853890 MANUAL

WATER 75618666 24-804760 424 EBENEZER RD 1.000 s 5/8" 12/07/2015  ON
Serial: 75618666 MANUAL

WATER 88239989 24-804761 432 EBENEZER RD 1.000 S 5/8" 4/27/2020  ON
Serial: 88239989 MANUAL

WATER 72853899 24-804763 438 EBENEZER RD 1.000 s 5/8" 11/05/2020  ON
Serial: 72853899 MANUAL

WATER 75618804 24-804764 448 EBENEZER RD 1.000 S 5/8" 5/12/2014  ON
Serial: 75618804 MANUAL

WATER 67641406 24-804765 462 EBENEZER RD 1.000 S-P 5/8 1/01/2007 5/15/2007  ON
Serial: 67641406 MANUAL 1/01/2007

WATER 67412669 24-804783 131 KINGCADE DR 1.000 S-P 5/8 1/01/2007 2/20/2006  ON
Serial: 67412669 MANUAL

WATER 67412679 24-804784 108 KINGCADE DR 1.000 S-P 5/8 1/01/2007 1/18/2007  ON
Serial: 67412679 MANUAL

WATER 67412681 24-804785 109 KINGCADE DR 1.000 S-P 5/8 1/01/2006 1/18/2007  ON
Serial: 67412681 MANUAL

WATER 67412678 24-804788 600 EBENEZER RD 1.000 S-P 5/8 1/01/2007 1/18/2007  ON
Serial: 67412678 MANUAL

WATER 67412667 24-804789 616 EBENEZER RD 1.000 S-P 5/8 1/01/2007 1/17/2007  ON
Serial: 67412667 MANUAL

WATER 67412682 24-804790 618 EBENEZER RD 1.000 S-P 5/8 1/01/2007 1/17/2007  ON
Serial: 67412682 MANUAL

WATER 66510705 24-804940 107 EMORY WAY 1.000 s-P 5/8 1/01/2007 1/23/2007  ON
Serial: 66510705 MANUAL

WATER 67641075 24-809490 474 LONDON LN 1.000 S-P 5/8 1/01/2007 12/05/2007  ON
Serial: 67641075 MANUAL

WATER 90301676 24-810000 696 LONDON LN 1.000 S 5/8" 6/17/2021  ON
Serial: 90301676 MANUAL

WATER 84008021 24-810175 1033 OLD STAGE RD 1.000 S 5/8" 3/28/2018  ON
Serial: 84008021 MANUAL

WATER 90301568 24-850870 445 STAGE RD 1.000 S 5/8" 3/02/2022  ON
Serial: 90301568 MANUAL

WATER 84008019 24-850875 453 STAGE RD 1.000 S 5/8" 3/28/2018  ON
Serial: 84008019 MANUAL

WATER 90301544 24-850880 437 STAGE RD 1.000 s 5/8" 8/25/2022  ON
Serial: 90301544 MANUAL

WATER 80002822 24-850883 367 STAGE RD 1.000 S 5/8" 9/13/2016 9/13/2016  ON
Serial: 80002822 MANUAL

WATER 96689077 24-860001 218 PLEASANT RIDGE DR 1.000 S-IPRL  5/8" 3/19/2025  ON
Serial: 96689077 MANUAL

WATER 81007973 24-860002 224 PLEASANT RIDGE DR 1.000 S 5/8" 9/20/2024  ON
Serial: 81007973 MANUAL

WATER 90301600 24-860003 230 PLEASANT RIDGE DR 1.000 S 5/8" 5/30/2024  ON
Serial: 90301600 MANUAL

WATER 90301512 24-860004 238 PLEASANT RIDGE DR 1.000 s 5/8" 4/17/2023  ON

Serial: 90301512 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 151
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes
DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 24 - BOOK 24
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-
- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT
WATER 84007930 24-860005 248 PLEASANT RIDGE DR 1.000 S 5/8" 3/27/2020  ON
Serial: 84007930 MANUAL
WATER 86011667 24-860006 258 PLEASANT RIDGE DR 1.000 S 5/8" 9/06/2019  ON
Serial: 86011667 MANUAL
WATER 72853817 24-860007 268 PLEASANT RIDGE DR 1.000 S 5/8" 9/17/2013  ON
Serial: 72853817 MANUAL
WATER 75618763 24-860008 270 PLEASANT RIDGE DR 1.000 s 5/8" 11/06/2014  ON
Serial: 75618763 MANUAL
WATER 90301420 24-860009 278 PLEASANT RIDGE DR 1.000 S 5/8" 3/27/2024  ON
Serial: 90301420 MANUAL
WATER 90301594 24-860010 298 PLEASANT RIDGE DR 1.000 s 5/8" 7/02/2024  ON
Serial: 90301594 MANUAL
WATER 86011833 24-860011 154 MANSFIELD DR 1.000 S 5/8" 6/25/2019  ON
Serial: 86011833 MANUAL
WATER 88239782 24-860012 174 MANSFIELD DR 1.000 S 5/8" 5/18/2021  ON
Serial: 88239782 MANUAL
WATER 73987782 24-860013 178 MANSFIELD DR 1.000 S 5/8" 5/20/2015  ON
Serial: 73987782 MANUAL
WATER 80002660 24-860014 188 MANSFIELD DR 1.000 s 5/8" 3/12/2019 3/12/2019  ON
Serial: 80002660 MANUAL
WATER 84007939 24-860015 198 MANSFIELD DR 1.000 s 5/8" 10/15/2018  ON
Serial: 84007939 MANUAL
WATER 80002833 24-860016 206 MANSFIELD DR 1.000 S 5/8" 6/23/2016  ON
Serial: 80002833 MANUAL
WATER 82386726 24-860017 218 MANSFIELD DR 1.000 S 5/8" 5/01/2018 ON
Serial: 82386726 MANUAL
WATER 80002884 24-860018 230 MANSFIELD DR 1.000 S 5/8" 3/05/2018  ON
Serial: 80002884 MANUAL
WATER 96689005 24-860019 240 MANSFIELD DR 1.000 S-IPRL  5/8" 1/28/2025  ON
Serial: 96689005 MANUAL
WATER 88239691 24-860020 246 MANSFIELD DR 1.000 S 5/8" 6/22/2020  ON
Serial: 88239691 MANUAL
WATER 80003324 24-860021 250 MANSFIELD DR 1.000 s 5/8" 1/31/2018  ON
Serial: 80003324 MANUAL
WATER 80002909 24-860025 251 MANSFIELD DR 1.000 S 5/8" 5/26/2016  ON
Serial: 80002909 MANUAL
WATER 90301710 24-860027 239 MANSFIELD DR 1.000 S 5/8" 1/09/2023  ON
Serial: 90301710 MANUAL
WATER 90301814 24-860031 217 MANSFIELD DR 1.000 S 5/8" 8/01/2022  ON
Serial: 90301814 MANUAL
WATER 90301789 24-860033 213 MANSFIELD DR 1.000 S 5/8" 10/22/2021  ON
Serial: 90301789 MANUAL
WATER 84008102 24-860034 205 MANSFIELD DR 1.000 s 5/8" 7/19/2018  ON
Serial: 84008102 MANUAL
WATER 80003309 24-860036 185 MANSFIELD DR 1.000 S 5/8" 8/16/2017  ON
Serial: 80003309 MANUAL
WATER 88239773 24-860037 179 MANSFIELD DR 1.000 s 5/8" 2/15/2022  ON
Serial: 88239773 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 152

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999
BOOK: 24 - BOOK 24

————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 90301553 24-860038 167 MANSFIELD DR 1.000 s 5/8" 5/06/2022  ON
Serial: 90301553 MANUAL

WATER 90301712 24-860039 161 MANSFIELD DR 1.000 s 5/8" 1/09/2023  ON
Serial: 90301712 MANUAL

WATER 90301461 24-860040 153 MANSFIELD DR 1.000 S 5/8" 9/14/2023  ON
Serial: 90301461 MANUAL

WATER 90301543 24-860041 139 MANSFIELD DR 1.000 S 5/8" 8/22/2022  ON
Serial: 90301543 MANUAL

WATER 90301636 24-860042 131 MANSFIELD DR 1.000 s 5/8" 11/29/2023  ON
Serial: 90301636 MANUAL

WATER 90301432 24-860043 127 MANSFIELD DR 1.000 S 5/8" 9/06/2024  ON
Serial: 90301432 MANUAL

WATER 80003447 24-860044 123 MANSFIELD DR 1.000 S 5/8" 12/15/2020  ON
Serial: 80003447 MANUAL

WATER 96689017 24-860045 115 MANSFIELD DR 1.000 S-IPRL  5/8" 11/13/2024  ON
Serial: 96689017 MANUAL

WATER 80003448 24-860046 109 MANSFIELD DR 1.000 S 5/8" 5/01/2018  ON
Serial: 80003448 MANUAL

WATER 96689075 24-860048 105 MANSFIELD DR 1.000 S-IPRL  5/8" 3/18/2025  ON
Serial: 96689075 MANUAL

WATER 80002926 24-860050 103 MANSFIELD DR 1.000 S 5/8" 10/13/2016 10/13/2016  ON
Serial: 80002926 MANUAL

WATER 88239389 24-860052 104 MANSFIELD DR 1.000 S 5/8" 6/02/2023  ON
Serial: 88239389 MANUAL

WATER 90301664 24-860054 108 MANSFIELD DR 1.000 S 5/8" 8/04/2021  ON
Serial: 90301664 MANUAL

WATER 80003425 24-860056 110 MANSFIELD DR 1.000 s 5/8" 2/09/2017  ON
Serial: 80003425 MANUAL

WATER 86011853 24-860057 120 MANSFIELD DR 1.000 S 5/8" 9/06/2019  ON
Serial: 86011853 MANUAL

WATER 73681682 24-860058 128 MANSFIELD DR 1.000 s 5/8" 7/27/2020  ON
Serial: 73681682 MANUAL

WATER 90301498 24-860059 293 PLEASANT RIDGE DR 1.000 s 5/8" 1/22/2024  ON
Serial: 90301498 MANUAL

WATER 75618807 24-860060 275 PLEASANT RIDGE DR 1.000 S 5/8" 3/24/2014  ON
Serial: 75618807 MANUAL

WATER 80002805 24-860061 271 PLEASANT RIDGE DR 1.000 S 5/8" 5/26/2016  ON
Serial: 80002805 MANUAL

WATER 73681746 24-860062 269 PLEASANT RIDGE DR 1.000 s 5/8" 2/26/2013  ON
Serial: 73681746 MANUAL

WATER 86011836 24-860063 116 STONEFIELD CT 1.000 S 5/8" 8/17/2020  ON
Serial: 86011836 MANUAL

WATER 80002645 24-860064 126 STONEFIELD CT 1.000 s 5/8" 4/05/2017  ON
Serial: 80002645 MANUAL

WATER 80003065 24-860065 138 STONEFIELD CT 1.000 S 5/8" 5/01/2018 ON
Serial: 80003065 MANUAL

WATER 80002984 24-860066 144 STONEFIELD CT 1.000 s 5/8" 4/20/2016  ON

Serial: 80002984 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 153
DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT

DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes

DT REPAIR: (0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999

BOOK: 24 - BOOK 24
————— SERVICE ADDRESS —------ -SCALE-- --MAKE-- --SIZE--- -PURCHASE DATE- -INSTALL DATE-

- METER GROUP - METER NO# ACCOUNT NO# --MXU ID-- ---DMD MXU--- -DSCALE- --TYPE-- --PRICE-- --REPAIR DATE-- --TESTED DATE-- STAT

WATER 80002681 24-860074 186 STONEFIELD CT 1.000 S 5/8" 9/06/2017  ON
Serial: 80002681 MANUAL

WATER 82386258 24-860075 188 STONEFIELD CT 1.000 s 5/8" 7/10/2017  ON
Serial: 82386258 MANUAL

WATER 75618636 24-860077 187 STONEFIELD CT 1.000 S 5/8" 10/07/2015  ON
Serial: 75618636 MANUAL

WATER 80002825 24-860081 167 STONEFIELD CT 1.000 s 5/8" 2/09/2017  ON
Serial: 80002825 MANUAL

WATER 73988010 24-860083 151 STONEFIELD CT 1.000 s 5/8" 1/13/2015  ON
Serial: 73988010 MANUAL

WATER 80002817 24-860085 139 STONEFIELD COURT 1.000 S 5/8" 8/02/2016  ON
Serial: 80002817 MANUAL

WATER 100933510 24-860086  LOT2 PLEASANT RIDGE DR SEC#4 1.000 S-IPRL  5/8" 11/12/2025  ON
Serial: 100933510 MANUAL

WATER 90301547 24-860090 217 PLEASANT RIDGE DR 1.000 s 5/8" 8/22/2022  ON
Serial: 90301547 MANUAL





2/11/2026 12:43 PM METER REPORT PAGE : 154

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999

AGE OF METERS BASED ON PURCHASE DATE

1 TO 3 4 TO 6 7 TO 10 11 TO 15 16 TO 20 OVER 20 UNKNOWN
MAKE YEARS OLD YEARS OLD YEARS OLD YEARS OLD YEARS OLD YEARS OLD YEARS OLD

METER GROUP: WATER

- 0 0 0 0 0 0 3
-P 0 0 0 0 1 0 0
0-P 0 0 0 0 1 0 0
B-P 0 0 0 0 4 0 0
H-P 0 0 0 0 0 1 0
R-P 0 0 0 0 214 78 0
S 0 2 128 25 7 5 1546
S- 0 0 0 0 1 0 0
S-IPRL 3 0 0 0 0 0 195
S-P 0 0 0 0 1163 89 1
WA-P 0 0 0 0 1 0 0
]R-P 0 0 0 0 1 0 0
GROUP TOTAL 3 2 128 25 1393 173 1745
*TOTALS* 3 2 128 25 1393 173 1745
AGE OF METERS BASED ON PURCHASE DATE
1 TO 3 4 TO 6 7 TO 10 11 TO 15 16 TO 20 OVER 20 UNKNOWN
SIZE YEARS OLD YEARS OLD YEARS OLD YEARS OLD YEARS OLD YEARS OLD YEARS OLD
METER GROUP: WATER
0 0 0 0 56 6 0
1 0 0 0 0 9 4 5
5/8 0 0 0 0 1324 160 4
5/8" 3 2 128 25 4 3 1736
GROUP TOTAL 3 2 128 25 1393 173 1745

*TOTALS* 3 2 128 25 1393 173 1745





2/11/2026 12:43 PM METER REPORT PAGE : 155

DT PURCHSED: 0/00/0000 TO 99/99/9999 SEQ :ACCOUNT
DT INSTALL: 1/01/1900 TO 2/11/2026 SIZE :All Sizes
DT REPAIR: 0/00/0000 TO 99/99/9999 MAKE :All Makes

DT TESTED: 0/00/0000 TO 99/99/9999

AGE OF METERS BASED ON INSTALL DATE
1 TO 3 4 TO 6 7 TO 10 11 TO 15 16 TO 20 OVER 20 UNKNOWN
MAKE YEARS OLD YEARS OLD YEARS OLD YEARS OLD YEARS OLD YEARS OLD YEARS OLD

METER GROUP: WATER

- 0 0 0 0 0 3 0
-P 0 0 0 0 1 0 0
0-P 0 0 0 0 1 0 0
B-P 0 0 0 0 4 0 0
H-P 0 0 0 0 0 1 0
R-P 0 1 0 1 214 76 0
S 130 373 757 418 30 5 0
S- 0 0 0 0 1 0 0
S-IPRL 198 0 0 0 0 0 0
S-P 2 0 0 1 1152 98 0
WA-P 0 0 0 0 1 0 0
]R-P 0 0 0 0 1 0 0
GROUP TOTAL 330 374 757 420 1405 183 0
*TOTALS* 330 374 757 420 1405 183 0
AGE OF METERS BASED ON INSTALL DATE
1 TO 3 4 TO 6 7 TO 10 11 TO 15 16 TO 20 OVER 20 UNKNOWN
SIZE YEARS OLD YEARS OLD YEARS OLD YEARS OLD YEARS OLD YEARS OLD YEARS OLD
METER GROUP: WATER
1 1 0 0 55 5 0
1 2 1 1 1 9 4 0
5/8 1 0 0 2 1314 171 0
5/8" 326 372 756 417 27 3 0
GROUP TOTAL 330 374 757 420 1405 183 0
*TOTALS* 330 374 757 420 1405 183 0
ASSIGNED & UNASSIGNED TOTALS
ASSIGNED METERS
METER GROUP STAT ON STAT OFF UNASSIGNED METERS TOTAL
WATER 3357 112 0 3469

TOTAL 3357 112 0 3469





2/11/2026 12:43 PM

METER REPORT

SELECTION CRITERIA

PAGE

METER SELECTION

ZONE :

BOOK:

COMMENT CODES:
GROUP:

TYPE:

MAKE :

SIZE:
ASSIGNMENT :

02 - CYCLE 02
* - All Books
All

* - All

* - All

* - All Makes
* - All Sizes
BOTH

DATE SELECTION

PURCHASED: 00/00/0000 THROUGH 99/99/9999
INSTALLED: 01/01/1900 THROUGH 02/11/2026
REPAIRED: 00/00/0000 THROUGH 99/99/9999
TESTED: 00/00/0000 THROUGH 99/99/9999

PRINT OPTIONS

TOTALS ONLY:
EXCEPTIONS:

NO
NONE

CUSTOMER CLASS TOTALS: NO

PRINT NOTE/SERIAL:
SEQUENCE :
COMMENT CODE:

Serial

Account Number

*** END OF REPORT ***






